## User guide
Description
The data contains import limits and resulting WEIM transfers that incurred following an upward flexible ramping sufficiency test or bid range capacity test failure during June 2022.
NOTICE
As part of Resource Sufficiency Evaluation Enhancements Phase 1 implementation, the California ISO is now posting additional data surrounding resource sufficiency evaluation performance. DMM will no longer post this data set following the month of June 2022.
Data on resource sufficiency evaluation imposed net transfer limits (including any base EIM transfer) can be found on OASIS at Energy → Energy Imbalance Market → Net EIM Transfer Limit.
Data on dynamic market net EIM exports (without any base EIM transfer) can be found on OASIS at Energy → Energy Imbalance Market → EIM Transfer.
Data Notes
•Data only contains upward results from final test at T-40 (RTBS_3).
•Intervals with known invalid test failures were removed from the data. These can occur because of a market disruption, software defect, or other error.
•Intervals with missing data were removed.
•In some cases the import limit after failing the test (from the greater of the base transfer or last 15-minute interval transfer) is at or beyond the normal limit from the sum of individual WEIM transfer system resources. In these cases the import limit imposed after failing the test is not relevant, so these intervals were removed.
Variables
| Market: | 15-mintue market (FMM) or 5-minute market (RTD).
| Date: | Market/test date.
| Hour: | Market/test hour.
| Market interval: | Market interval.
| Test interval | Test interval.
| BAA: | Balancing authority area.
| Direction | Direction (only upward included).
| Sufficiency test status: | Sufficiency test status, pass or fail.
| Capacity test status: | Capacity test status, pass or fail.
| RSE imposed import limit: | Import limit imposed after failing either the flex ramp sufficiency or capacity tests, set by the greater of the base WEIM transfer or last 15-minute market transfer. (positive is on import side, negative is on export side).
| Market net EIM import: | 15-minute or 5-minute market net WEIM import (positive is a net import, negative is a net export).
| Base net import: | Base (bilateral) net import (positive is a net import, negative is a net export).
| RSE imposed import limit (no base): | Incremental import limit, RSE imposed import limit above base schedules (greater of zero or the last 15-minute market transfer minus base).
| Market net EIM import (no base): | Incremental 15-minute or 5-minute market net WEIM import above base schedules (positive is a net import, negative is a net export).
| DISCLAIMER: | With the California ISO's approval, DMM is releasing this data in response to market participant requests submitted in the California ISO's WEIM Resource Sufficiency Evaluation Enhancements stakeholder initiative. The California ISO does not warrant the accuracy or completeness of this data. This data cannot be republished without obtaining prior written consent of the California ISO. CAISO - Public

## June 2022
Market | Date | Hour | Market interval | Test interval | BAA | Direction | Sufficiency test status | Capacity test status | RSE imposed import limit | Market net WEIM import | Base (bilateral) net import | RSE imposed import limit (no base) | Market net WEIM import (no base)
FMM | 2022-06-07 | 15 | 1 | 1 | AVA | UP | FAIL | PASS | 12.0342 | 12.0343 | 0.5 | 11.5342 | 11.5343
FMM | 2022-06-07 | 16 | 1 | 1 | AVA | UP | FAIL | PASS | 15.6757 | -44.6899 | -0.91667 | 16.5924 | -43.7733
FMM | 2022-06-07 | 18 | 1 | 1 | AVA | UP | FAIL | PASS | 30.1063 | 23.3404 | 7.75 | 22.3563 | 15.5904
FMM | 2022-06-07 | 18 | 2 | 2 | AVA | UP | FAIL | PASS | 23.3404 | 23.3407 | 3 | 20.3404 | 20.3407
FMM | 2022-06-07 | 18 | 3 | 3 | AVA | UP | FAIL | PASS | 23.3407 | 23.3408 | 13 | 10.3407 | 10.3408
FMM | 2022-06-07 | 18 | 4 | 4 | AVA | UP | FAIL | PASS | 23.3408 | 11.5334 | 22.4167 | 0.92415 | -10.8832
FMM | 2022-06-07 | 22 | 1 | 1 | AVA | UP | FAIL | PASS | 8.3527 | -12.6367 | 4.5 | 3.8527 | -17.1367
FMM | 2022-06-08 | 19 | 1 | 1 | AVA | UP | FAIL | PASS | 99 | 99.0002 | 99 | 0 | 0.00017448
FMM | 2022-06-09 | 17 | 1 | 1 | AVA | UP | FAIL | PASS | 41.1667 | 34.1677 | 41.1667 | 0 | -6.999
FMM | 2022-06-21 | 16 | 2 | 2 | AVA | UP | FAIL | PASS | -28.0093 | -28.0087 | -36 | 7.9907 | 7.9913
FMM | 2022-06-21 | 16 | 3 | 3 | AVA | UP | FAIL | PASS | -33.313 | -33.3124 | -35 | 1.687 | 1.6876
FMM | 2022-06-21 | 16 | 4 | 4 | AVA | UP | FAIL | PASS | -32.8333 | -32.8329 | -32.8333 | 0 | 0.00041742
FMM | 2022-06-21 | 17 | 1 | 1 | AVA | UP | FAIL | PASS | -24.1667 | -24.1659 | -24.1667 | 0 | 0.00071908
FMM | 2022-06-21 | 17 | 2 | 2 | AVA | UP | FAIL | FAIL | -24.1659 | -24.1652 | -25 | 0.83405 | 0.83477
FMM | 2022-06-21 | 17 | 3 | 3 | AVA | UP | FAIL | FAIL | -24.1652 | -24.1645 | -25 | 0.83477 | 0.83549
FMM | 2022-06-21 | 17 | 4 | 4 | AVA | UP | FAIL | FAIL | -18 | -17.9993 | -18 | 0 | 0.00071265
FMM | 2022-06-21 | 18 | 1 | 1 | AVA | UP | FAIL | PASS | 10 | 10.0007 | 10 | 0 | 0.00066107
FMM | 2022-06-21 | 18 | 2 | 2 | AVA | UP | FAIL | PASS | 18 | 18.0007 | 18 | 0 | 0.00065875
FMM | 2022-06-21 | 18 | 3 | 3 | AVA | UP | FAIL | PASS | 18.0007 | 18.0015 | 18 | 0.00065875 | 0.0014599
FMM | 2022-06-21 | 18 | 4 | 4 | AVA | UP | FAIL | PASS | 18.0015 | 18.0021 | 6 | 12.0015 | 12.0021
FMM | 2022-06-21 | 19 | 1 | 1 | AVA | UP | FAIL | FAIL | 18.0021 | 18.0028 | -42 | 60.0021 | 60.0028
FMM | 2022-06-21 | 19 | 2 | 2 | AVA | UP | FAIL | FAIL | 18.0028 | 18.0029 | -53 | 71.0028 | 71.0029
FMM | 2022-06-21 | 19 | 3 | 3 | AVA | UP | FAIL | PASS | 18.0029 | 18.003 | -45 | 63.0029 | 63.003
FMM | 2022-06-21 | 19 | 4 | 4 | AVA | UP | FAIL | PASS | 18.003 | 18.004 | -45.3333 | 63.3363 | 63.3373
FMM | 2022-06-28 | 2 | 1 | 1 | AVA | UP | FAIL | PASS | 174.3333 | 129.4261 | 174.3333 | 0 | -44.9072
FMM | 2022-06-28 | 2 | 2 | 2 | AVA | UP | FAIL | PASS | 168 | 148.822 | 168 | 0 | -19.178
FMM | 2022-06-28 | 2 | 3 | 3 | AVA | UP | FAIL | PASS | 168 | 146.7662 | 168 | 0 | -21.2338
FMM | 2022-06-28 | 2 | 4 | 4 | AVA | UP | FAIL | PASS | 171.6667 | 133.4095 | 171.6667 | 0 | -38.2571
FMM | 2022-06-06 | 7 | 4 | 4 | BPAT | UP | FAIL | PASS | -5772 | -5771.9993 | -5772 | 0 | 0.00069233
FMM | 2022-06-06 | 16 | 1 | 1 | BPAT | UP | FAIL | PASS | -5820.5 | -6119.4234 | -5820.5 | 0 | -298.9234
FMM | 2022-06-06 | 16 | 2 | 2 | BPAT | UP | FAIL | PASS | -5747 | -6060 | -5747 | 0 | -313
FMM | 2022-06-06 | 16 | 3 | 3 | BPAT | UP | FAIL | PASS | -5691 | -5799.9181 | -5691 | 0 | -108.9181
FMM | 2022-06-06 | 16 | 4 | 4 | BPAT | UP | FAIL | PASS | -5751.1667 | -5840.8393 | -5751.1667 | 0 | -89.6726
FMM | 2022-06-07 | 11 | 1 | 1 | BPAT | UP | FAIL | PASS | -4995.5 | -5000.6121 | -4995.5 | 0 | -5.1121
FMM | 2022-06-07 | 11 | 2 | 2 | BPAT | UP | FAIL | PASS | -4993 | -4992.9993 | -4993 | 0 | 0.0006972
FMM | 2022-06-07 | 11 | 3 | 3 | BPAT | UP | FAIL | PASS | -4884 | -4926.2098 | -4884 | 0 | -42.2098
FMM | 2022-06-07 | 11 | 4 | 4 | BPAT | UP | FAIL | PASS | -4904.6667 | -4971.0683 | -4904.6667 | 0 | -66.4017
FMM | 2022-06-07 | 17 | 4 | 4 | BPAT | UP | FAIL | PASS | -5867 | -5937.0382 | -5867 | 0 | -70.0382
FMM | 2022-06-09 | 9 | 1 | 1 | BPAT | UP | FAIL | PASS | -4962 | -5099 | -4962 | 0 | -137
FMM | 2022-06-09 | 9 | 2 | 2 | BPAT | UP | FAIL | PASS | -4978 | -5078.8224 | -4978 | 0 | -100.8224
FMM | 2022-06-09 | 9 | 3 | 3 | BPAT | UP | FAIL | PASS | -4947 | -5084 | -4947 | 0 | -137
FMM | 2022-06-09 | 9 | 4 | 4 | BPAT | UP | FAIL | PASS | -4970.6667 | -4985.5779 | -4970.6667 | 0 | -14.9112
FMM | 2022-06-09 | 10 | 3 | 3 | BPAT | UP | FAIL | PASS | -4921.8333 | -4990.0618 | -4921.8333 | 0 | -68.2285
FMM | 2022-06-09 | 10 | 4 | 4 | BPAT | UP | FAIL | PASS | -4931.5833 | -4934.128 | -4931.5833 | 0 | -2.5446
FMM | 2022-06-09 | 11 | 1 | 1 | BPAT | UP | FAIL | PASS | -4934.128 | -4979.395 | -4987.5833 | 53.4554 | 8.1883
FMM | 2022-06-09 | 11 | 2 | 2 | BPAT | UP | FAIL | PASS | -4963 | -4962.9995 | -4963 | 0 | 0.00052373
FMM | 2022-06-09 | 11 | 3 | 3 | BPAT | UP | FAIL | PASS | -4962.1663 | -5149.1663 | -4962.1663 | 0 | -187
FMM | 2022-06-09 | 11 | 4 | 4 | BPAT | UP | FAIL | PASS | -4994.333 | -5181.333 | -4994.333 | 0 | -187
FMM | 2022-06-09 | 22 | 1 | 1 | BPAT | UP | FAIL | PASS | -5311.8333 | -5537.4009 | -5311.8333 | 0 | -225.5676
FMM | 2022-06-10 | 9 | 2 | 2 | BPAT | UP | FAIL | PASS | -6560.0497 | -6560.0497 | -6665 | 104.9503 | 104.9503
FMM | 2022-06-10 | 9 | 3 | 3 | BPAT | UP | FAIL | PASS | -6560.0497 | -6560.0496 | -6597 | 36.9503 | 36.9504
FMM | 2022-06-10 | 9 | 4 | 4 | BPAT | UP | FAIL | PASS | -6560.0496 | -6560.049 | -6566 | 5.9504 | 5.951
FMM | 2022-06-15 | 8 | 2 | 2 | BPAT | UP | FAIL | PASS | -5696 | -5828.8996 | -5696 | 0 | -132.8996
FMM | 2022-06-15 | 8 | 3 | 3 | BPAT | UP | FAIL | PASS | -5737 | -5801.1203 | -5737 | 0 | -64.1203
FMM | 2022-06-15 | 8 | 4 | 4 | BPAT | UP | FAIL | PASS | -5765.3333 | -5765.3329 | -5765.3333 | 0 | 0.00038682
FMM | 2022-06-16 | 7 | 1 | 1 | BPAT | UP | FAIL | PASS | -6304.921 | -6304.9205 | -6321.1667 | 16.2456 | 16.2461
FMM | 2022-06-16 | 7 | 2 | 2 | BPAT | UP | FAIL | FAIL | -6304.9205 | -6304.9199 | -6331.5833 | 26.6628 | 26.6634
FMM | 2022-06-16 | 7 | 3 | 3 | BPAT | UP | FAIL | FAIL | -6287.4167 | -6370 | -6287.4167 | 0 | -82.5833
FMM | 2022-06-16 | 7 | 4 | 4 | BPAT | UP | FAIL | FAIL | -6316.5 | -6316.4992 | -6316.5 | 0 | 0.00084812
FMM | 2022-06-16 | 11 | 4 | 4 | BPAT | UP | FAIL | PASS | -6464.5 | -6618.9654 | -6464.5 | 0 | -154.4654
FMM | 2022-06-17 | 2 | 1 | 1 | BPAT | UP | FAIL | PASS | -5565.3133 | -5670.8323 | -5635.8333 | 70.52 | -34.999
FMM | 2022-06-17 | 2 | 2 | 2 | BPAT | UP | FAIL | PASS | -5623 | -5622.9992 | -5623 | 0 | 0.00084275
FMM | 2022-06-17 | 2 | 3 | 3 | BPAT | UP | FAIL | PASS | -5439 | -5509.0966 | -5439 | 0 | -70.0966
FMM | 2022-06-17 | 2 | 4 | 4 | BPAT | UP | FAIL | PASS | -5447.3333 | -5481.1589 | -5447.3333 | 0 | -33.8256
FMM | 2022-06-18 | 2 | 1 | 1 | BPAT | UP | FAIL | PASS | -5881.3333 | -5881.3327 | -5881.3333 | 0 | 0.00063578
FMM | 2022-06-18 | 3 | 1 | 1 | BPAT | UP | FAIL | PASS | -5744.8333 | -5775.6087 | -5862.5 | 117.6667 | 86.8913
FMM | 2022-06-18 | 3 | 2 | 2 | BPAT | UP | FAIL | PASS | -5775.6087 | -5808.3767 | -5856 | 80.3913 | 47.6233
FMM | 2022-06-18 | 3 | 3 | 3 | BPAT | UP | FAIL | PASS | -5808.3767 | -5821.1071 | -5849 | 40.6233 | 27.8929
FMM | 2022-06-18 | 4 | 1 | 1 | BPAT | UP | FAIL | PASS | -5692.4031 | -5692.4026 | -5779.6667 | 87.2635 | 87.2641
FMM | 2022-06-18 | 4 | 2 | 2 | BPAT | UP | FAIL | PASS | -5692.4026 | -5721.2036 | -5775 | 82.5974 | 53.7964
FMM | 2022-06-18 | 4 | 3 | 3 | BPAT | UP | FAIL | PASS | -5721.2036 | -5721.2028 | -5775 | 53.7964 | 53.7972
FMM | 2022-06-18 | 4 | 4 | 4 | BPAT | UP | FAIL | PASS | -5721.2028 | -5846.6656 | -5811.6667 | 90.4639 | -34.999
FMM | 2022-06-18 | 21 | 1 | 1 | BPAT | UP | FAIL | PASS | -7298.5 | -7388.2089 | -7298.5 | 0 | -89.7089
FMM | 2022-06-18 | 21 | 2 | 2 | BPAT | UP | FAIL | PASS | -7280 | -7301.999 | -7280 | 0 | -21.999
FMM | 2022-06-18 | 21 | 3 | 3 | BPAT | UP | FAIL | PASS | -7280 | -7333.1898 | -7280 | 0 | -53.1898
FMM | 2022-06-18 | 21 | 4 | 4 | BPAT | UP | FAIL | PASS | -7309.5 | -7340.2739 | -7309.5 | 0 | -30.7739
FMM | 2022-06-19 | 7 | 4 | 4 | BPAT | UP | FAIL | PASS | -6134.0479 | -6170.4093 | -6161 | 26.9521 | -9.4093
FMM | 2022-06-19 | 23 | 1 | 1 | BPAT | UP | FAIL | PASS | -6532.1667 | -6532.1658 | -6532.1667 | 0 | 0.00082739
FMM | 2022-06-19 | 23 | 2 | 2 | BPAT | UP | FAIL | PASS | -6466 | -6465.9992 | -6466 | 0 | 0.00082464
FMM | 2022-06-20 | 7 | 4 | 4 | BPAT | UP | FAIL | PASS | -6961.1667 | -6993.1656 | -6961.1667 | 0 | -31.999
FMM | 2022-06-20 | 24 | 2 | 2 | BPAT | UP | FAIL | PASS | -4828.3106 | -4832.1652 | -5019 | 190.6894 | 186.8348
FMM | 2022-06-20 | 24 | 3 | 3 | BPAT | UP | FAIL | PASS | -4832.1652 | -4878.5751 | -4946 | 113.8348 | 67.4249
FMM | 2022-06-21 | 6 | 3 | 3 | BPAT | UP | FAIL | PASS | -5309 | -5477.7724 | -5309 | 0 | -168.7724
FMM | 2022-06-21 | 6 | 4 | 4 | BPAT | UP | FAIL | PASS | -5387.1667 | -5517.1667 | -5387.1667 | 0 | -130
FMM | 2022-06-21 | 17 | 4 | 4 | BPAT | UP | FAIL | PASS | -5471.3762 | -5627.1667 | -5497.1667 | 25.7905 | -130
FMM | 2022-06-22 | 21 | 1 | 1 | BPAT | UP | FAIL | PASS | -7528 | -7652.9644 | -7528 | 0 | -124.9644
FMM | 2022-06-22 | 21 | 2 | 2 | BPAT | UP | FAIL | PASS | -7652.9644 | -7652.9635 | -7654 | 1.0356 | 1.0365
FMM | 2022-06-22 | 21 | 3 | 3 | BPAT | UP | FAIL | PASS | -7596 | -7595.9991 | -7596 | 0 | 0.00087834
FMM | 2022-06-23 | 7 | 4 | 4 | BPAT | UP | FAIL | PASS | -6127.418 | -6127.418 | -6127.418 | 0 | 3.6529e-05
FMM | 2022-06-25 | 22 | 1 | 1 | BPAT | UP | FAIL | PASS | -8113.5 | -8195.543 | -8113.5 | 0 | -82.043
FMM | 2022-06-25 | 22 | 2 | 2 | BPAT | UP | FAIL | PASS | -8105 | -8104.9993 | -8105 | 0 | 0.00072473
FMM | 2022-06-25 | 22 | 3 | 3 | BPAT | UP | FAIL | PASS | -8104.9993 | -8246.221 | -8207.25 | 102.2507 | -38.971
FMM | 2022-06-26 | 24 | 1 | 1 | BPAT | UP | FAIL | PASS | -6027.25 | -6061.249 | -6027.25 | 0 | -33.999
FMM | 2022-06-27 | 1 | 1 | 1 | BPAT | UP | FAIL | PASS | -5595.6667 | -5783.3465 | -5595.6667 | 0 | -187.6799
FMM | 2022-06-27 | 20 | 1 | 1 | BPAT | UP | FAIL | PASS | -7184.5 | -7269.7158 | -7184.5 | 0 | -85.2158
FMM | 2022-06-27 | 22 | 1 | 1 | BPAT | UP | FAIL | PASS | -7487.5 | -7650.5 | -7487.5 | 0 | -163
FMM | 2022-06-27 | 24 | 1 | 1 | BPAT | UP | FAIL | PASS | -7304.3333 | -7467.3333 | -7304.3333 | 0 | -163
FMM | 2022-06-28 | 1 | 1 | 1 | BPAT | UP | FAIL | PASS | -6851.8333 | -6942.5275 | -6851.8333 | 0 | -90.6941
FMM | 2022-06-28 | 9 | 1 | 1 | BPAT | UP | FAIL | PASS | -8116.5501 | -8369.6666 | -8201.8333 | 85.2833 | -167.8333
FMM | 2022-06-28 | 9 | 2 | 2 | BPAT | UP | FAIL | PASS | -8222.3333 | -8344.8477 | -8222.3333 | 0 | -122.5144
FMM | 2022-06-28 | 9 | 3 | 3 | BPAT | UP | FAIL | PASS | -8251 | -8286.2886 | -8251 | 0 | -35.2886
FMM | 2022-06-28 | 9 | 4 | 4 | BPAT | UP | FAIL | PASS | -8243.1667 | -8253.924 | -8243.1667 | 0 | -10.7574
FMM | 2022-06-29 | 21 | 1 | 1 | BPAT | UP | FAIL | PASS | -6429.5 | -6429.5 | -6496.1667 | 66.6667 | 66.6667
FMM | 2022-06-29 | 21 | 2 | 2 | BPAT | UP | FAIL | PASS | -6429.5 | -6607.1357 | -6580 | 150.5 | -27.1357
FMM | 2022-06-29 | 21 | 3 | 3 | BPAT | UP | FAIL | PASS | -6607.1357 | -6607.1349 | -6615 | 7.8643 | 7.8651
FMM | 2022-06-30 | 21 | 1 | 1 | BPAT | UP | FAIL | PASS | -5829.5 | -5829.499 | -5829.5 | 0 | 0.001049
FMM | 2022-06-30 | 23 | 3 | 3 | BPAT | UP | FAIL | PASS | -5992.9505 | -6155.8707 | -6046.8333 | 53.8828 | -109.0374
FMM | 2022-06-30 | 23 | 4 | 4 | BPAT | UP | FAIL | PASS | -5966.4167 | -5966.4159 | -5966.4167 | 0 | 0.0008103
FMM | 2022-06-30 | 24 | 1 | 1 | BPAT | UP | FAIL | PASS | -5769.9167 | -5769.9158 | -5769.9167 | 0 | 0.00084096
FMM | 2022-06-30 | 24 | 2 | 2 | BPAT | UP | FAIL | PASS | -5716 | -5715.9991 | -5716 | 0 | 0.0008887
FMM | 2022-06-30 | 24 | 3 | 3 | BPAT | UP | FAIL | PASS | -5715.9991 | -5715.9983 | -5848 | 132.0009 | 132.0017
FMM | 2022-06-30 | 24 | 4 | 4 | BPAT | UP | FAIL | PASS | -5715.9983 | -5723.1646 | -5820.6667 | 104.6684 | 97.5021
FMM | 2022-06-08 | 1 | 1 | 1 | NEVP | UP | FAIL | PASS | 927.0833 | 927.0855 | 927.0833 | 0 | 0.0021558
FMM | 2022-06-09 | 1 | 1 | 1 | NEVP | UP | PASS | FAIL | 1201.0016 | 1146.0279 | 776.4 | 424.6016 | 369.6279
FMM | 2022-06-18 | 9 | 1 | 1 | NEVP | UP | FAIL | PASS | 954.1706 | 954.1708 | 724.6667 | 229.504 | 229.5041
FMM | 2022-06-23 | 8 | 2 | 2 | NEVP | UP | FAIL | PASS | 1252.4849 | 1121.3291 | 737 | 515.4849 | 384.3291
FMM | 2022-06-24 | 8 | 1 | 1 | NEVP | UP | FAIL | PASS | 1036.7581 | 1030.8748 | 788 | 248.7581 | 242.8748
FMM | 2022-06-24 | 8 | 2 | 2 | NEVP | UP | FAIL | PASS | 1030.8748 | 965.6416 | 766 | 264.8748 | 199.6416
FMM | 2022-06-22 | 18 | 3 | 3 | NWMT | UP | FAIL | PASS | 357.3442 | 357.3443 | 273 | 84.3442 | 84.3443
FMM | 2022-06-27 | 18 | 1 | 1 | NWMT | UP | FAIL | PASS | 661.1667 | 627.6338 | 661.1667 | 0 | -33.5329
FMM | 2022-06-27 | 18 | 2 | 2 | NWMT | UP | FAIL | PASS | 656 | 645.2956 | 656 | 0 | -10.7044
FMM | 2022-06-27 | 18 | 3 | 3 | NWMT | UP | FAIL | PASS | 656 | 656.0005 | 656 | 0 | 0.00053779
FMM | 2022-06-08 | 14 | 1 | 1 | PACE | UP | FAIL | PASS | 717.7751 | 717.7752 | 694.8333 | 22.9418 | 22.9419
FMM | 2022-06-23 | 14 | 1 | 1 | PACE | UP | FAIL | PASS | 859.3333 | 779.6636 | 859.3333 | 0 | -79.6697
FMM | 2022-06-27 | 22 | 1 | 1 | PACE | UP | FAIL | PASS | 1204.8603 | 1138.3416 | 1128.6667 | 76.1937 | 9.6749
FMM | 2022-06-10 | 10 | 4 | 4 | PACW | UP | FAIL | PASS | 422.3333 | 409.8161 | 422.3333 | 0 | -12.5172
FMM | 2022-06-27 | 23 | 1 | 1 | PACW | UP | PASS | FAIL | 855.5171 | 512.8768 | 355.0833 | 500.4338 | 157.7934
FMM | 2022-06-09 | 15 | 1 | 1 | PSEI | UP | PASS | FAIL | 1251.4041 | 1251.4065 | 1250.8333 | 0.57074 | 0.57319
FMM | 2022-06-09 | 15 | 2 | 2 | PSEI | UP | PASS | FAIL | 1251.4065 | 1251.409 | 1249 | 2.4065 | 2.409
FMM | 2022-06-11 | 24 | 1 | 1 | PSEI | UP | FAIL | PASS | 1017.6163 | 813.0644 | 844.5 | 173.1163 | -31.4356
FMM | 2022-06-14 | 7 | 4 | 4 | PSEI | UP | PASS | FAIL | 1578.9438 | 1578.944 | 1390.8333 | 188.1105 | 188.1107
FMM | 2022-06-16 | 23 | 1 | 1 | PSEI | UP | PASS | FAIL | 1160.7642 | 1160.7643 | 864 | 296.7642 | 296.7643
FMM | 2022-06-21 | 23 | 1 | 1 | PSEI | UP | FAIL | FAIL | 1481.513 | 1436.0314 | 1221.8333 | 259.6797 | 214.198
FMM | 2022-06-12 | 19 | 1 | 1 | SRP | UP | PASS | FAIL | 1153.6617 | 1153.6617 | 719.5833 | 434.0784 | 434.0784
FMM | 2022-06-12 | 20 | 1 | 1 | SRP | UP | PASS | FAIL | 910.692 | 883.0234 | 666.5 | 244.192 | 216.5234
FMM | 2022-06-12 | 23 | 2 | 2 | SRP | UP | FAIL | PASS | 1591.1176 | 1540.3377 | 1367 | 224.1176 | 173.3377
FMM | 2022-06-13 | 19 | 1 | 1 | SRP | UP | PASS | FAIL | 1396.5001 | 1396.5002 | 1159.1667 | 237.3335 | 237.3335
FMM | 2022-06-13 | 19 | 2 | 2 | SRP | UP | PASS | FAIL | 1396.5002 | 1376.0479 | 1214 | 182.5002 | 162.0479
FMM | 2022-06-13 | 19 | 3 | 3 | SRP | UP | PASS | FAIL | 1376.0479 | 1294.4816 | 1177 | 199.0479 | 117.4816
FMM | 2022-06-13 | 21 | 1 | 1 | SRP | UP | PASS | FAIL | 1229.4167 | 1229.4015 | 1229.4167 | 0 | -0.015203
FMM | 2022-06-22 | 12 | 4 | 4 | SRP | UP | FAIL | PASS | 1433.0133 | 1433.0133 | 521 | 912.0133 | 912.0133
FMM | 2022-06-24 | 19 | 1 | 1 | SRP | UP | FAIL | PASS | 717.6584 | 717.6575 | 661.8333 | 55.8251 | 55.8241
FMM | 2022-06-24 | 19 | 2 | 2 | SRP | UP | FAIL | PASS | 717.6575 | 694.325 | 672 | 45.6575 | 22.325
FMM | 2022-06-28 | 18 | 1 | 1 | SRP | UP | FAIL | PASS | 835.5532 | 658.6123 | 578.6667 | 256.8865 | 79.9456
FMM | 2022-06-28 | 18 | 2 | 2 | SRP | UP | FAIL | PASS | 658.6123 | 658.6145 | 602 | 56.6123 | 56.6145
FMM | 2022-06-28 | 18 | 3 | 3 | SRP | UP | FAIL | PASS | 658.6145 | 658.6168 | 602 | 56.6145 | 56.6168
FMM | 2022-06-28 | 18 | 4 | 4 | SRP | UP | FAIL | PASS | 658.6168 | 658.619 | 596.1667 | 62.4501 | 62.4523
FMM | 2022-06-28 | 19 | 1 | 1 | SRP | UP | FAIL | PASS | 658.619 | 658.6212 | 570.5 | 88.119 | 88.1212
FMM | 2022-06-28 | 19 | 2 | 2 | SRP | UP | FAIL | PASS | 658.6212 | 658.6234 | 564 | 94.6212 | 94.6234
FMM | 2022-06-28 | 19 | 3 | 3 | SRP | UP | FAIL | PASS | 658.6234 | 658.6239 | 564 | 94.6234 | 94.6239
FMM | 2022-06-28 | 19 | 4 | 4 | SRP | UP | FAIL | PASS | 658.6239 | 658.6244 | 565.3333 | 93.2906 | 93.2911
FMM | 2022-06-28 | 22 | 1 | 1 | SRP | UP | PASS | FAIL | 934.6667 | 934.6668 | 934.6667 | 0 | 0.0001165
FMM | 2022-06-07 | 20 | 1 | 1 | TIDC | UP | PASS | FAIL | 187.9595 | 187.9618 | 160 | 27.9595 | 27.9618
FMM | 2022-06-07 | 20 | 2 | 2 | TIDC | UP | PASS | FAIL | 187.9618 | 187.9625 | 173 | 14.9618 | 14.9625
FMM | 2022-06-07 | 20 | 3 | 3 | TIDC | UP | PASS | FAIL | 187.9625 | 187.9648 | 173 | 14.9625 | 14.9648
FMM | 2022-06-07 | 20 | 4 | 4 | TIDC | UP | PASS | FAIL | 187.9648 | 187.9654 | 177.3333 | 10.6314 | 10.6321
FMM | 2022-06-08 | 24 | 1 | 1 | TPWR | UP | PASS | FAIL | -64.1667 | -64.1661 | -64.1667 | 0 | 0.00054983
FMM | 2022-06-22 | 17 | 2 | 2 | TPWR | UP | FAIL | PASS | 136.1411 | 134.88 | 83 | 53.1411 | 51.88
FMM | 2022-06-22 | 17 | 3 | 3 | TPWR | UP | FAIL | PASS | 134.88 | 134.88 | 83 | 51.88 | 51.88
FMM | 2022-06-22 | 17 | 4 | 4 | TPWR | UP | FAIL | PASS | 134.88 | 134.8801 | 84.1667 | 50.7133 | 50.7135
RTD | 2022-06-07 | 15 | 1 | 1 | AVA | UP | FAIL | PASS | 12.0342 | 12.0343 | 11 | 1.0342 | 1.0343
RTD | 2022-06-07 | 15 | 2 | 1 | AVA | UP | FAIL | PASS | 13.5 | 13.5001 | 13.5 | 0 | 9.1525e-05
RTD | 2022-06-07 | 15 | 3 | 1 | AVA | UP | FAIL | PASS | 13 | 13.0001 | 13 | 0 | 7.4134e-05
RTD | 2022-06-07 | 16 | 1 | 1 | AVA | UP | FAIL | PASS | 15.6757 | 15.6757 | 8.375 | 7.3007 | 7.3007
RTD | 2022-06-07 | 16 | 2 | 1 | AVA | UP | FAIL | PASS | 15.6757 | 15.6757 | 11.375 | 4.3007 | 4.3007
RTD | 2022-06-07 | 16 | 3 | 1 | AVA | UP | FAIL | PASS | 15.6757 | 15.6757 | 11 | 4.6757 | 4.6757
RTD | 2022-06-07 | 18 | 1 | 1 | AVA | UP | FAIL | PASS | 30.1063 | 30.1063 | 27.126 | 2.9803 | 2.9803
RTD | 2022-06-07 | 18 | 2 | 1 | AVA | UP | FAIL | PASS | 30.1063 | 30.0877 | 22.126 | 7.9803 | 7.9617
RTD | 2022-06-07 | 18 | 3 | 1 | AVA | UP | FAIL | PASS | 30.1063 | 3.4678 | 13 | 17.1063 | -9.5322
RTD | 2022-06-07 | 18 | 4 | 2 | AVA | UP | FAIL | PASS | 23.3404 | 23.3404 | 13 | 10.3404 | 10.3404
RTD | 2022-06-07 | 18 | 5 | 2 | AVA | UP | FAIL | PASS | 23.3404 | 13 | 13 | 10.3404 | 1.064e-06
RTD | 2022-06-07 | 18 | 6 | 2 | AVA | UP | FAIL | PASS | 23.3404 | 18.633 | 13 | 10.3404 | 5.633
RTD | 2022-06-07 | 18 | 7 | 3 | AVA | UP | FAIL | PASS | 23.3407 | 18.7541 | 13 | 10.3407 | 5.7541
RTD | 2022-06-07 | 18 | 8 | 3 | AVA | UP | FAIL | PASS | 23.3407 | 18.0846 | 13 | 10.3407 | 5.0846
RTD | 2022-06-07 | 18 | 9 | 3 | AVA | UP | FAIL | PASS | 23.3407 | 23.3407 | 13 | 10.3407 | 10.3407
RTD | 2022-06-07 | 18 | 10 | 4 | AVA | UP | FAIL | PASS | 23.3408 | 23.3409 | 13 | 10.3408 | 10.3409
RTD | 2022-06-07 | 18 | 11 | 4 | AVA | UP | FAIL | PASS | 23.3408 | 23.3409 | 19.625 | 3.7158 | 3.7159
RTD | 2022-06-07 | 18 | 12 | 4 | AVA | UP | FAIL | PASS | 35.625 | 35.625 | 35.625 | 0 | 1.3705e-06
RTD | 2022-06-07 | 22 | 1 | 1 | AVA | UP | FAIL | PASS | 17.625 | -2.9045 | 17.625 | 0 | -20.5295
RTD | 2022-06-07 | 22 | 2 | 1 | AVA | UP | FAIL | PASS | 8.3527 | 2.0923 | 5.875 | 2.4777 | -3.7827
RTD | 2022-06-07 | 22 | 3 | 1 | AVA | UP | FAIL | PASS | 8.3527 | -2.2678 | 0 | 8.3527 | -2.2678
RTD | 2022-06-08 | 19 | 1 | 1 | AVA | UP | FAIL | PASS | 103.375 | 103.3757 | 103.375 | 0 | 0.00069487
RTD | 2022-06-08 | 19 | 2 | 1 | AVA | UP | FAIL | PASS | 96.4421 | 96.4428 | 89.125 | 7.3171 | 7.3178
RTD | 2022-06-08 | 19 | 3 | 1 | AVA | UP | FAIL | PASS | 96.4421 | 96.4427 | 82 | 14.4421 | 14.4427
RTD | 2022-06-09 | 17 | 1 | 1 | AVA | UP | FAIL | PASS | 43.875 | 43.8752 | 43.875 | 0 | 0.00016664
RTD | 2022-06-09 | 17 | 2 | 1 | AVA | UP | FAIL | PASS | 38.625 | 38.6251 | 38.625 | 0 | 0.00013548
RTD | 2022-06-09 | 17 | 3 | 1 | AVA | UP | FAIL | PASS | 36 | 36.0001 | 36 | 0 | 0.00014289
RTD | 2022-06-21 | 16 | 4 | 2 | AVA | UP | FAIL | PASS | -28.0093 | -28.0093 | -35 | 6.9907 | 6.9907
RTD | 2022-06-21 | 16 | 5 | 2 | AVA | UP | FAIL | PASS | -28.0093 | -28.0093 | -35 | 6.9907 | 6.9907
RTD | 2022-06-21 | 16 | 6 | 2 | AVA | UP | FAIL | PASS | -28.0093 | -28.0093 | -35 | 6.9907 | 6.9907
RTD | 2022-06-21 | 16 | 7 | 3 | AVA | UP | FAIL | PASS | -33.313 | -33.313 | -35 | 1.687 | 1.687
RTD | 2022-06-21 | 16 | 8 | 3 | AVA | UP | FAIL | PASS | -33.313 | -33.313 | -35 | 1.687 | 1.687
RTD | 2022-06-21 | 16 | 9 | 3 | AVA | UP | FAIL | PASS | -33.313 | -33.3139 | -35 | 1.687 | 1.6861
RTD | 2022-06-21 | 16 | 10 | 4 | AVA | UP | FAIL | PASS | -33.3124 | -33.3124 | -35 | 1.6876 | 1.6876
RTD | 2022-06-21 | 16 | 11 | 4 | AVA | UP | FAIL | PASS | -33.3124 | -33.3124 | -33.75 | 0.43758 | 0.43758
RTD | 2022-06-21 | 16 | 12 | 4 | AVA | UP | FAIL | PASS | -31.25 | -31.251 | -31.25 | 0 | -0.0010335
RTD | 2022-06-21 | 17 | 1 | 1 | AVA | UP | FAIL | PASS | -28.75 | -34.318 | -28.75 | 0 | -5.568
RTD | 2022-06-21 | 17 | 2 | 1 | AVA | UP | FAIL | PASS | -26.25 | -29.7804 | -26.25 | 0 | -3.5304
RTD | 2022-06-21 | 17 | 3 | 1 | AVA | UP | FAIL | PASS | -25 | -31.9897 | -25 | 0 | -6.9897
RTD | 2022-06-21 | 17 | 4 | 2 | AVA | UP | FAIL | FAIL | -24.1659 | -24.1659 | -25 | 0.83405 | 0.8341
RTD | 2022-06-21 | 17 | 5 | 2 | AVA | UP | FAIL | FAIL | -24.1659 | -26.4793 | -25 | 0.83405 | -1.4793
RTD | 2022-06-21 | 17 | 6 | 2 | AVA | UP | FAIL | FAIL | -24.1659 | -29.8763 | -25 | 0.83405 | -4.8763
RTD | 2022-06-21 | 17 | 7 | 3 | AVA | UP | FAIL | FAIL | -24.1652 | -24.1652 | -25 | 0.83477 | 0.83483
RTD | 2022-06-21 | 17 | 8 | 3 | AVA | UP | FAIL | FAIL | -24.1652 | -24.1652 | -25 | 0.83477 | 0.83481
RTD | 2022-06-21 | 17 | 9 | 3 | AVA | UP | FAIL | FAIL | -24.1652 | -24.1652 | -25 | 0.83477 | 0.83477
RTD | 2022-06-21 | 17 | 10 | 4 | AVA | UP | FAIL | FAIL | -24.1645 | -24.1645 | -25 | 0.83549 | 0.83549
RTD | 2022-06-21 | 17 | 11 | 4 | AVA | UP | FAIL | FAIL | -19.625 | -19.6261 | -19.625 | 0 | -0.0010551
RTD | 2022-06-21 | 17 | 12 | 4 | AVA | UP | FAIL | FAIL | -8.875 | -12.3834 | -8.875 | 0 | -3.5084
RTD | 2022-06-21 | 18 | 1 | 1 | AVA | UP | FAIL | PASS | 1.875 | 1.8751 | 1.875 | 0 | 5.659e-05
RTD | 2022-06-21 | 18 | 2 | 1 | AVA | UP | FAIL | PASS | 12.625 | 12.625 | 12.625 | 0 | 3.1657e-05
RTD | 2022-06-21 | 18 | 3 | 1 | AVA | UP | FAIL | PASS | 18 | 18 | 18 | 0 | 6.2616e-06
RTD | 2022-06-21 | 18 | 4 | 2 | AVA | UP | FAIL | PASS | 18 | 18 | 18 | 0 | 1.3652e-05
RTD | 2022-06-21 | 18 | 5 | 2 | AVA | UP | FAIL | PASS | 18 | 18 | 18 | 0 | 4.088e-05
RTD | 2022-06-21 | 18 | 6 | 2 | AVA | UP | FAIL | PASS | 18 | 17.6558 | 18 | 0 | -0.3442
RTD | 2022-06-21 | 18 | 8 | 3 | AVA | UP | FAIL | PASS | 18.0007 | 10.5528 | 18 | 0.00065875 | -7.4472
RTD | 2022-06-21 | 18 | 9 | 3 | AVA | UP | FAIL | PASS | 18.0007 | -21.5711 | 18 | 0.00065875 | -39.5711
RTD | 2022-06-21 | 18 | 10 | 4 | AVA | UP | FAIL | PASS | 18.0015 | -22.3257 | 18 | 0.0014599 | -40.3257
RTD | 2022-06-21 | 18 | 11 | 4 | AVA | UP | FAIL | PASS | 18.0015 | -17.675 | 13.375 | 4.6265 | -31.05
RTD | 2022-06-21 | 18 | 12 | 4 | AVA | UP | FAIL | PASS | 18.0015 | 18.0015 | -2.375 | 20.3765 | 20.3765
RTD | 2022-06-21 | 19 | 1 | 1 | AVA | UP | FAIL | FAIL | 18.0021 | 18.0021 | -24.625 | 42.6271 | 42.6271
RTD | 2022-06-21 | 19 | 2 | 1 | AVA | UP | FAIL | FAIL | 18.0021 | 18.0021 | -40.375 | 58.3771 | 58.3771
RTD | 2022-06-21 | 19 | 3 | 1 | AVA | UP | FAIL | FAIL | 18.0021 | 13.2319 | -45 | 63.0021 | 58.2319
RTD | 2022-06-21 | 19 | 4 | 2 | AVA | UP | FAIL | FAIL | 18.0028 | 18.0028 | -45 | 63.0028 | 63.0028
RTD | 2022-06-21 | 19 | 5 | 2 | AVA | UP | FAIL | FAIL | 18.0028 | 18.0028 | -45 | 63.0028 | 63.0028
RTD | 2022-06-21 | 19 | 6 | 2 | AVA | UP | FAIL | FAIL | 18.0028 | 18.0028 | -45 | 63.0028 | 63.0028
RTD | 2022-06-21 | 19 | 7 | 3 | AVA | UP | FAIL | PASS | 18.0029 | 6.8694 | -45 | 63.0029 | 51.8694
RTD | 2022-06-21 | 19 | 8 | 3 | AVA | UP | FAIL | PASS | 18.0029 | -47.1158 | -45 | 63.0029 | -2.1158
RTD | 2022-06-21 | 19 | 9 | 3 | AVA | UP | FAIL | PASS | 18.0029 | 18.0029 | -45 | 63.0029 | 63.0029
RTD | 2022-06-21 | 19 | 10 | 4 | AVA | UP | FAIL | PASS | 18.003 | -47.9884 | -45 | 63.003 | -2.9884
RTD | 2022-06-21 | 19 | 11 | 4 | AVA | UP | FAIL | PASS | 18.003 | 18.003 | -44.875 | 62.878 | 62.878
RTD | 2022-06-21 | 19 | 12 | 4 | AVA | UP | FAIL | PASS | 18.003 | 18.003 | -44.375 | 62.378 | 62.378
RTD | 2022-06-28 | 2 | 1 | 1 | AVA | UP | FAIL | PASS | 178.5 | 178.5 | 178.5 | 0 | 3.3146e-05
RTD | 2022-06-28 | 2 | 2 | 1 | AVA | UP | FAIL | PASS | 171.5 | 171.5 | 171.5 | 0 | 2.0909e-05
RTD | 2022-06-28 | 2 | 3 | 1 | AVA | UP | FAIL | PASS | 168 | 168 | 168 | 0 | 2.3737e-05
RTD | 2022-06-28 | 2 | 4 | 2 | AVA | UP | FAIL | PASS | 168 | 168 | 168 | 0 | 1.5595e-05
RTD | 2022-06-28 | 2 | 5 | 2 | AVA | UP | FAIL | PASS | 168 | 168 | 168 | 0 | 3.8381e-05
RTD | 2022-06-28 | 2 | 6 | 2 | AVA | UP | FAIL | PASS | 168 | 168 | 168 | 0 | 4.3681e-05
RTD | 2022-06-28 | 2 | 7 | 3 | AVA | UP | FAIL | PASS | 168 | 168 | 168 | 0 | 4.486e-05
RTD | 2022-06-28 | 2 | 8 | 3 | AVA | UP | FAIL | PASS | 168 | 168 | 168 | 0 | 4.4802e-05
RTD | 2022-06-28 | 2 | 9 | 3 | AVA | UP | FAIL | PASS | 168 | 168 | 168 | 0 | 4.4032e-05
RTD | 2022-06-28 | 2 | 10 | 4 | AVA | UP | FAIL | PASS | 168 | 168 | 168 | 0 | 4.4158e-05
RTD | 2022-06-28 | 2 | 11 | 4 | AVA | UP | FAIL | PASS | 170.625 | 170.625 | 170.625 | 0 | 4.4378e-05
RTD | 2022-06-28 | 2 | 12 | 4 | AVA | UP | FAIL | PASS | 175.875 | 175.875 | 175.875 | 0 | 4.4378e-05
RTD | 2022-06-06 | 7 | 10 | 4 | BPAT | UP | FAIL | PASS | -5783.5 | -5783.4998 | -5783.5 | 0 | 0.0002426
RTD | 2022-06-06 | 7 | 11 | 4 | BPAT | UP | FAIL | PASS | -5737.25 | -5737.2498 | -5737.25 | 0 | 0.00024226
RTD | 2022-06-06 | 7 | 12 | 4 | BPAT | UP | FAIL | PASS | -5644.5 | -5644.5 | -5644.5 | 0 | 6.4344e-07
RTD | 2022-06-06 | 16 | 1 | 1 | BPAT | UP | FAIL | PASS | -5686.125 | -5787.0601 | -5686.125 | 0 | -100.9351
RTD | 2022-06-06 | 16 | 2 | 1 | BPAT | UP | FAIL | PASS | -5689.375 | -5746.9726 | -5689.375 | 0 | -57.5976
RTD | 2022-06-06 | 16 | 3 | 1 | BPAT | UP | FAIL | PASS | -5691 | -5764.0086 | -5691 | 0 | -73.0086
RTD | 2022-06-06 | 16 | 4 | 2 | BPAT | UP | FAIL | PASS | -5691 | -5799.5199 | -5691 | 0 | -108.5199
RTD | 2022-06-06 | 16 | 5 | 2 | BPAT | UP | FAIL | PASS | -5691 | -5849.8382 | -5691 | 0 | -158.8382
RTD | 2022-06-06 | 16 | 6 | 2 | BPAT | UP | FAIL | PASS | -5691 | -5820.1999 | -5691 | 0 | -129.1999
RTD | 2022-06-06 | 16 | 7 | 3 | BPAT | UP | FAIL | PASS | -5691 | -5894.34 | -5691 | 0 | -203.34
RTD | 2022-06-06 | 16 | 8 | 3 | BPAT | UP | FAIL | PASS | -5691 | -5914.7098 | -5691 | 0 | -223.7098
RTD | 2022-06-06 | 16 | 9 | 3 | BPAT | UP | FAIL | PASS | -5697 | -5937.4556 | -5697 | 0 | -240.4556
RTD | 2022-06-06 | 16 | 10 | 4 | BPAT | UP | FAIL | PASS | -5697 | -5960.8114 | -5697 | 0 | -263.8114
RTD | 2022-06-06 | 16 | 11 | 4 | BPAT | UP | FAIL | PASS | -5754.375 | -5985.6513 | -5754.375 | 0 | -231.2763
RTD | 2022-06-06 | 16 | 12 | 4 | BPAT | UP | FAIL | PASS | -5799.9181 | -6105.4109 | -5835.75 | 35.8319 | -269.6609
RTD | 2022-06-07 | 11 | 1 | 1 | BPAT | UP | FAIL | PASS | -4917.375 | -4958.2465 | -4917.375 | 0 | -40.8715
RTD | 2022-06-07 | 11 | 2 | 1 | BPAT | UP | FAIL | PASS | -4895.125 | -4975.53 | -4895.125 | 0 | -80.405
RTD | 2022-06-07 | 11 | 3 | 1 | BPAT | UP | FAIL | PASS | -4884 | -5034 | -4884 | 0 | -150
RTD | 2022-06-07 | 11 | 4 | 2 | BPAT | UP | FAIL | PASS | -4884 | -5034 | -4884 | 0 | -150
RTD | 2022-06-07 | 11 | 5 | 2 | BPAT | UP | FAIL | PASS | -4884 | -5033.918 | -4884 | 0 | -149.918
RTD | 2022-06-07 | 11 | 6 | 2 | BPAT | UP | FAIL | PASS | -4884 | -5031.2673 | -4884 | 0 | -147.2673
RTD | 2022-06-07 | 11 | 7 | 3 | BPAT | UP | FAIL | PASS | -4884 | -5034 | -4884 | 0 | -150
RTD | 2022-06-07 | 11 | 8 | 3 | BPAT | UP | FAIL | PASS | -4884 | -5034 | -4884 | 0 | -150
RTD | 2022-06-07 | 11 | 9 | 3 | BPAT | UP | FAIL | PASS | -4884 | -5034 | -4884 | 0 | -150
RTD | 2022-06-07 | 11 | 10 | 4 | BPAT | UP | FAIL | PASS | -4884 | -5034 | -4884 | 0 | -150
RTD | 2022-06-07 | 11 | 11 | 4 | BPAT | UP | FAIL | PASS | -4892.125 | -5042.125 | -4892.125 | 0 | -150
RTD | 2022-06-07 | 11 | 12 | 4 | BPAT | UP | FAIL | PASS | -4895.625 | -5045.625 | -4895.625 | 0 | -150
RTD | 2022-06-07 | 17 | 10 | 4 | BPAT | UP | FAIL | PASS | -5815.5 | -5815.5 | -5815.5 | 0 | 1.0638e-06
RTD | 2022-06-07 | 17 | 11 | 4 | BPAT | UP | FAIL | PASS | -5853.875 | -5853.875 | -5853.875 | 0 | 7.797e-07
RTD | 2022-06-07 | 17 | 12 | 4 | BPAT | UP | FAIL | PASS | -5901.4864 | -5951.6985 | -5917.235 | 15.7486 | -34.4635
RTD | 2022-06-09 | 9 | 1 | 1 | BPAT | UP | FAIL | PASS | -4928.25 | -4929.0008 | -4928.25 | 0 | -0.75078
RTD | 2022-06-09 | 9 | 2 | 1 | BPAT | UP | FAIL | PASS | -4944.75 | -4944.75 | -4944.75 | 0 | 1.4903e-06
RTD | 2022-06-09 | 9 | 3 | 1 | BPAT | UP | FAIL | PASS | -4951 | -4951 | -4951 | 0 | 1.4802e-06
RTD | 2022-06-09 | 9 | 4 | 2 | BPAT | UP | FAIL | PASS | -4947 | -4947 | -4947 | 0 | 1.3016e-07
RTD | 2022-06-09 | 9 | 5 | 2 | BPAT | UP | FAIL | PASS | -4945 | -4945.4885 | -4945 | 0 | -0.48847
RTD | 2022-06-09 | 9 | 6 | 2 | BPAT | UP | FAIL | PASS | -4945 | -4952.8692 | -4945 | 0 | -7.8692
RTD | 2022-06-09 | 9 | 7 | 3 | BPAT | UP | FAIL | PASS | -4945 | -5043.9587 | -4945 | 0 | -98.9587
RTD | 2022-06-09 | 9 | 8 | 3 | BPAT | UP | FAIL | PASS | -4945 | -5079.8033 | -4945 | 0 | -134.8033
RTD | 2022-06-09 | 9 | 9 | 3 | BPAT | UP | FAIL | PASS | -4951 | -5065.3595 | -4951 | 0 | -114.3595
RTD | 2022-06-09 | 9 | 10 | 4 | BPAT | UP | FAIL | PASS | -4963 | -5067.696 | -4963 | 0 | -104.696
RTD | 2022-06-09 | 9 | 11 | 4 | BPAT | UP | FAIL | PASS | -4960.75 | -5001.2075 | -4960.75 | 0 | -40.4575
RTD | 2022-06-09 | 9 | 12 | 4 | BPAT | UP | FAIL | PASS | -4952.375 | -5068.4657 | -4952.375 | 0 | -116.0907
RTD | 2022-06-09 | 10 | 7 | 3 | BPAT | UP | FAIL | PASS | -4919.5 | -4920.1954 | -4919.5 | 0 | -0.6954
RTD | 2022-06-09 | 10 | 8 | 3 | BPAT | UP | FAIL | PASS | -4923 | -4924.8164 | -4923 | 0 | -1.8164
RTD | 2022-06-09 | 10 | 9 | 3 | BPAT | UP | FAIL | PASS | -4920.749 | -4920.7643 | -4920.749 | 0 | -0.015295
RTD | 2022-06-09 | 10 | 10 | 4 | BPAT | UP | FAIL | PASS | -4916.249 | -4916.2643 | -4916.249 | 0 | -0.015298
RTD | 2022-06-09 | 10 | 11 | 4 | BPAT | UP | FAIL | PASS | -4919.5 | -4919.5153 | -4919.5 | 0 | -0.015312
RTD | 2022-06-09 | 10 | 12 | 4 | BPAT | UP | FAIL | PASS | -4931.75 | -4934.5441 | -4931.75 | 0 | -2.7941
RTD | 2022-06-09 | 11 | 1 | 1 | BPAT | UP | FAIL | PASS | -4934.128 | -5132.25 | -4945.25 | 11.122 | -187
RTD | 2022-06-09 | 11 | 2 | 1 | BPAT | UP | FAIL | PASS | -4934.128 | -5144.5 | -4957.5 | 23.372 | -187
RTD | 2022-06-09 | 11 | 3 | 1 | BPAT | UP | FAIL | PASS | -4934.128 | -5150 | -4963 | 28.872 | -187
RTD | 2022-06-09 | 11 | 4 | 2 | BPAT | UP | FAIL | PASS | -4963 | -5150 | -4963 | 0 | -187
RTD | 2022-06-09 | 11 | 5 | 2 | BPAT | UP | FAIL | PASS | -4963 | -5150 | -4963 | 0 | -187
RTD | 2022-06-09 | 11 | 6 | 2 | BPAT | UP | FAIL | PASS | -4963 | -5150 | -4963 | 0 | -187
RTD | 2022-06-09 | 11 | 7 | 3 | BPAT | UP | FAIL | PASS | -4962.9995 | -5150 | -4963 | 0.00052373 | -187
RTD | 2022-06-09 | 11 | 8 | 3 | BPAT | UP | FAIL | PASS | -4962.9995 | -5150 | -4963 | 0.00052373 | -187
RTD | 2022-06-09 | 11 | 9 | 3 | BPAT | UP | FAIL | PASS | -4960.499 | -5147.499 | -4960.499 | 0 | -187
RTD | 2022-06-09 | 11 | 10 | 4 | BPAT | UP | FAIL | PASS | -4955.499 | -5142.499 | -4955.499 | 0 | -187
RTD | 2022-06-09 | 11 | 11 | 4 | BPAT | UP | FAIL | PASS | -4985.499 | -5172.499 | -4985.499 | 0 | -187
RTD | 2022-06-09 | 11 | 12 | 4 | BPAT | UP | FAIL | PASS | -5050.499 | -5237.499 | -5050.499 | 0 | -187
RTD | 2022-06-09 | 22 | 1 | 1 | BPAT | UP | FAIL | PASS | -5287.374 | -5338.0099 | -5287.374 | 0 | -50.6359
RTD | 2022-06-09 | 22 | 2 | 1 | BPAT | UP | FAIL | PASS | -5261.124 | -5379.8831 | -5261.124 | 0 | -118.7591
RTD | 2022-06-09 | 22 | 3 | 1 | BPAT | UP | FAIL | PASS | -5251 | -5400.4015 | -5251 | 0 | -149.4015
RTD | 2022-06-10 | 9 | 4 | 2 | BPAT | UP | FAIL | PASS | -6560.0497 | -6560.0497 | -6594.5 | 34.4503 | 34.4503
RTD | 2022-06-10 | 9 | 5 | 2 | BPAT | UP | FAIL | PASS | -6560.0497 | -6560.0497 | -6596 | 35.9503 | 35.9503
RTD | 2022-06-10 | 9 | 6 | 2 | BPAT | UP | FAIL | PASS | -6560.0497 | -6560.0497 | -6596 | 35.9503 | 35.9503
RTD | 2022-06-10 | 9 | 7 | 3 | BPAT | UP | FAIL | PASS | -6560.0497 | -6560.0497 | -6596 | 35.9503 | 35.9503
RTD | 2022-06-10 | 9 | 8 | 3 | BPAT | UP | FAIL | PASS | -6560.0497 | -6560.0497 | -6596 | 35.9503 | 35.9503
RTD | 2022-06-10 | 9 | 9 | 3 | BPAT | UP | FAIL | PASS | -6560.0497 | -6560.0497 | -6596 | 35.9503 | 35.9503
RTD | 2022-06-10 | 9 | 10 | 4 | BPAT | UP | FAIL | PASS | -6560.0496 | -6560.0496 | -6596 | 35.9504 | 35.9504
RTD | 2022-06-10 | 9 | 11 | 4 | BPAT | UP | FAIL | PASS | -6544.625 | -6544.625 | -6544.625 | 0 | 5.0008e-06
RTD | 2022-06-10 | 9 | 12 | 4 | BPAT | UP | FAIL | PASS | -6429.75 | -6429.75 | -6429.75 | 0 | 5.5939e-06
RTD | 2022-06-15 | 8 | 4 | 2 | BPAT | UP | FAIL | PASS | -5737 | -5830.8612 | -5737 | 0 | -93.8612
RTD | 2022-06-15 | 8 | 5 | 2 | BPAT | UP | FAIL | PASS | -5737 | -5869.9461 | -5737 | 0 | -132.9461
RTD | 2022-06-15 | 8 | 6 | 2 | BPAT | UP | FAIL | PASS | -5737 | -5828.9408 | -5737 | 0 | -91.9408
RTD | 2022-06-15 | 8 | 7 | 3 | BPAT | UP | FAIL | PASS | -5737 | -5813.3793 | -5737 | 0 | -76.3793
RTD | 2022-06-15 | 8 | 8 | 3 | BPAT | UP | FAIL | PASS | -5737 | -5843.4931 | -5737 | 0 | -106.4931
RTD | 2022-06-15 | 8 | 9 | 3 | BPAT | UP | FAIL | PASS | -5737 | -5844.9228 | -5737 | 0 | -107.9228
RTD | 2022-06-15 | 8 | 10 | 4 | BPAT | UP | FAIL | PASS | -5737 | -5815.155 | -5737 | 0 | -78.155
RTD | 2022-06-15 | 8 | 11 | 4 | BPAT | UP | FAIL | PASS | -5759.375 | -5871.2274 | -5759.375 | 0 | -111.8524
RTD | 2022-06-15 | 8 | 12 | 4 | BPAT | UP | FAIL | PASS | -5801.1203 | -5856.3658 | -5801.875 | 0.75471 | -54.4908
RTD | 2022-06-16 | 7 | 1 | 1 | BPAT | UP | FAIL | PASS | -6179 | -6179 | -6179 | 0 | 7.7283e-06
RTD | 2022-06-16 | 7 | 2 | 1 | BPAT | UP | FAIL | PASS | -6157 | -6205.8295 | -6157 | 0 | -48.8295
RTD | 2022-06-16 | 7 | 3 | 1 | BPAT | UP | FAIL | PASS | -6144 | -6241.7397 | -6144 | 0 | -97.7397
RTD | 2022-06-16 | 7 | 4 | 2 | BPAT | UP | FAIL | FAIL | -6144 | -6237.332 | -6144 | 0 | -93.332
RTD | 2022-06-16 | 7 | 5 | 2 | BPAT | UP | FAIL | FAIL | -6144 | -6259.8953 | -6144 | 0 | -115.8953
RTD | 2022-06-16 | 7 | 6 | 2 | BPAT | UP | FAIL | FAIL | -6144 | -6251.5303 | -6144 | 0 | -107.5303
RTD | 2022-06-16 | 7 | 7 | 3 | BPAT | UP | FAIL | FAIL | -6144 | -6277.222 | -6144 | 0 | -133.222
RTD | 2022-06-16 | 7 | 8 | 3 | BPAT | UP | FAIL | FAIL | -6144 | -6271.246 | -6144 | 0 | -127.246
RTD | 2022-06-16 | 7 | 9 | 3 | BPAT | UP | FAIL | FAIL | -6144 | -6259.3069 | -6144 | 0 | -115.3069
RTD | 2022-06-16 | 7 | 10 | 4 | BPAT | UP | FAIL | FAIL | -6144 | -6252.375 | -6144 | 0 | -108.375
RTD | 2022-06-16 | 7 | 11 | 4 | BPAT | UP | FAIL | FAIL | -6172.375 | -6261.2904 | -6172.375 | 0 | -88.9154
RTD | 2022-06-16 | 7 | 12 | 4 | BPAT | UP | FAIL | FAIL | -6225.125 | -6227.2839 | -6225.125 | 0 | -2.1589
RTD | 2022-06-16 | 11 | 10 | 4 | BPAT | UP | FAIL | PASS | -6411 | -6686 | -6411 | 0 | -275
RTD | 2022-06-16 | 11 | 11 | 4 | BPAT | UP | FAIL | PASS | -6431.375 | -6693.875 | -6431.375 | 0 | -262.5
RTD | 2022-06-16 | 11 | 12 | 4 | BPAT | UP | FAIL | PASS | -6472.125 | -6709.625 | -6472.125 | 0 | -237.5
RTD | 2022-06-17 | 2 | 1 | 1 | BPAT | UP | FAIL | PASS | -5446.875 | -5477.2699 | -5446.875 | 0 | -30.3949
RTD | 2022-06-17 | 2 | 2 | 1 | BPAT | UP | FAIL | PASS | -5441.625 | -5491.3316 | -5441.625 | 0 | -49.7066
RTD | 2022-06-17 | 2 | 3 | 1 | BPAT | UP | FAIL | PASS | -5439 | -5488.6969 | -5439 | 0 | -49.6969
RTD | 2022-06-17 | 2 | 4 | 2 | BPAT | UP | FAIL | PASS | -5439 | -5469.1201 | -5439 | 0 | -30.1201
RTD | 2022-06-17 | 2 | 5 | 2 | BPAT | UP | FAIL | PASS | -5439 | -5471.0777 | -5439 | 0 | -32.0777
RTD | 2022-06-17 | 2 | 9 | 3 | BPAT | UP | FAIL | PASS | -5439 | -5514.7105 | -5439 | 0 | -75.7105
RTD | 2022-06-17 | 2 | 10 | 4 | BPAT | UP | FAIL | PASS | -5439 | -5536.6872 | -5439 | 0 | -97.6872
RTD | 2022-06-17 | 2 | 11 | 4 | BPAT | UP | FAIL | PASS | -5442.25 | -5506.3102 | -5442.25 | 0 | -64.0602
RTD | 2022-06-17 | 2 | 12 | 4 | BPAT | UP | FAIL | PASS | -5446.5 | -5495.809 | -5446.5 | 0 | -49.309
RTD | 2022-06-18 | 2 | 1 | 1 | BPAT | UP | FAIL | PASS | -5935.375 | -5935.375 | -5935.375 | 0 | 1.1843e-05
RTD | 2022-06-18 | 2 | 2 | 1 | BPAT | UP | FAIL | PASS | -5915.125 | -5915.125 | -5915.125 | 0 | 1.182e-05
RTD | 2022-06-18 | 2 | 3 | 1 | BPAT | UP | FAIL | PASS | -5905 | -5905 | -5905 | 0 | 9.6967e-06
RTD | 2022-06-18 | 3 | 1 | 1 | BPAT | UP | FAIL | PASS | -5744.8333 | -5786.2931 | -5866.25 | 121.4167 | 79.9569
RTD | 2022-06-18 | 3 | 2 | 1 | BPAT | UP | FAIL | PASS | -5744.8333 | -5747.9597 | -5850.75 | 105.9167 | 102.7903
RTD | 2022-06-18 | 3 | 3 | 1 | BPAT | UP | FAIL | PASS | -5744.8333 | -5744.8333 | -5843 | 98.1667 | 98.1667
RTD | 2022-06-18 | 3 | 4 | 2 | BPAT | UP | FAIL | PASS | -5775.6087 | -5775.6087 | -5843 | 67.3913 | 67.3913
RTD | 2022-06-18 | 3 | 5 | 2 | BPAT | UP | FAIL | PASS | -5775.6087 | -5775.6087 | -5843 | 67.3913 | 67.3913
RTD | 2022-06-18 | 3 | 6 | 2 | BPAT | UP | FAIL | PASS | -5775.6087 | -5871.278 | -5843 | 67.3913 | -28.278
RTD | 2022-06-18 | 3 | 7 | 3 | BPAT | UP | FAIL | PASS | -5808.3767 | -5808.3767 | -5843 | 34.6233 | 34.6233
RTD | 2022-06-18 | 3 | 8 | 3 | BPAT | UP | FAIL | PASS | -5808.3767 | -5808.3767 | -5843 | 34.6233 | 34.6233
RTD | 2022-06-18 | 3 | 9 | 3 | BPAT | UP | FAIL | PASS | -5808.3767 | -5808.3767 | -5843 | 34.6233 | 34.6233
RTD | 2022-06-18 | 4 | 1 | 1 | BPAT | UP | FAIL | PASS | -5692.4031 | -5692.4031 | -5800.5 | 108.0969 | 108.0969
RTD | 2022-06-18 | 4 | 2 | 1 | BPAT | UP | FAIL | PASS | -5692.4031 | -5692.4031 | -5783.5 | 91.0969 | 91.0969
RTD | 2022-06-18 | 4 | 3 | 1 | BPAT | UP | FAIL | PASS | -5692.4031 | -5750.4796 | -5775 | 82.5969 | 24.5204
RTD | 2022-06-18 | 4 | 4 | 2 | BPAT | UP | FAIL | PASS | -5692.4026 | -5702.9284 | -5775 | 82.5974 | 72.0716
RTD | 2022-06-18 | 4 | 5 | 2 | BPAT | UP | FAIL | PASS | -5692.4026 | -5696.2098 | -5775 | 82.5974 | 78.7902
RTD | 2022-06-18 | 4 | 6 | 2 | BPAT | UP | FAIL | PASS | -5692.4026 | -5692.4026 | -5775 | 82.5974 | 82.5974
RTD | 2022-06-18 | 4 | 7 | 3 | BPAT | UP | FAIL | PASS | -5721.2036 | -5721.2036 | -5775 | 53.7964 | 53.7964
RTD | 2022-06-18 | 4 | 8 | 3 | BPAT | UP | FAIL | PASS | -5721.2036 | -5721.2036 | -5775 | 53.7964 | 53.7964
RTD | 2022-06-18 | 4 | 9 | 3 | BPAT | UP | FAIL | PASS | -5721.2036 | -5721.2036 | -5775 | 53.7964 | 53.7964
RTD | 2022-06-18 | 4 | 10 | 4 | BPAT | UP | FAIL | PASS | -5721.2028 | -5721.2028 | -5775 | 53.7972 | 53.7972
RTD | 2022-06-18 | 4 | 11 | 4 | BPAT | UP | FAIL | PASS | -5721.2028 | -5721.2028 | -5800.25 | 79.0472 | 79.0472
RTD | 2022-06-18 | 4 | 12 | 4 | BPAT | UP | FAIL | PASS | -5721.2028 | -5721.2028 | -5850.75 | 129.5472 | 129.5472
RTD | 2022-06-18 | 21 | 1 | 1 | BPAT | UP | FAIL | PASS | -7323.5 | -7387.0806 | -7323.5 | 0 | -63.5806
RTD | 2022-06-18 | 21 | 2 | 1 | BPAT | UP | FAIL | PASS | -7294.5 | -7383.5722 | -7294.5 | 0 | -89.0722
RTD | 2022-06-18 | 21 | 3 | 1 | BPAT | UP | FAIL | PASS | -7280 | -7301.329 | -7280 | 0 | -21.329
RTD | 2022-06-18 | 21 | 4 | 2 | BPAT | UP | FAIL | PASS | -7280 | -7280 | -7280 | 0 | 4.7061e-07
RTD | 2022-06-18 | 21 | 5 | 2 | BPAT | UP | FAIL | PASS | -7280 | -7280 | -7280 | 0 | 1.8326e-06
RTD | 2022-06-18 | 21 | 6 | 2 | BPAT | UP | FAIL | PASS | -7280 | -7280 | -7280 | 0 | 1.8327e-06
RTD | 2022-06-18 | 21 | 7 | 3 | BPAT | UP | FAIL | PASS | -7280 | -7280 | -7280 | 0 | 4.5095e-06
RTD | 2022-06-18 | 21 | 8 | 3 | BPAT | UP | FAIL | PASS | -7280 | -7280 | -7280 | 0 | 1.9143e-06
RTD | 2022-06-18 | 21 | 9 | 3 | BPAT | UP | FAIL | PASS | -7280 | -7280 | -7280 | 0 | 4.464e-06
RTD | 2022-06-18 | 21 | 10 | 4 | BPAT | UP | FAIL | PASS | -7280 | -7343.4973 | -7280 | 0 | -63.4973
RTD | 2022-06-18 | 21 | 11 | 4 | BPAT | UP | FAIL | PASS | -7291.625 | -7291.625 | -7291.625 | 0 | 1.9066e-06
RTD | 2022-06-18 | 21 | 12 | 4 | BPAT | UP | FAIL | PASS | -7314.875 | -7314.875 | -7314.875 | 0 | 7.2923e-06
RTD | 2022-06-19 | 7 | 10 | 4 | BPAT | UP | FAIL | PASS | -6133 | -6133 | -6133 | 0 | 8.4164e-07
RTD | 2022-06-19 | 7 | 11 | 4 | BPAT | UP | FAIL | PASS | -6134.0479 | -6236.1464 | -6140.375 | 6.3271 | -95.7714
RTD | 2022-06-19 | 7 | 12 | 4 | BPAT | UP | FAIL | PASS | -6134.0479 | -6211.5263 | -6155.125 | 21.0771 | -56.4013
RTD | 2022-06-19 | 23 | 1 | 1 | BPAT | UP | FAIL | PASS | -6593 | -6682.1405 | -6593 | 0 | -89.1405
RTD | 2022-06-19 | 23 | 2 | 1 | BPAT | UP | FAIL | PASS | -6501 | -6542.2243 | -6501 | 0 | -41.2243
RTD | 2022-06-19 | 23 | 3 | 1 | BPAT | UP | FAIL | PASS | -6455 | -6520.1319 | -6455 | 0 | -65.1319
RTD | 2022-06-19 | 23 | 4 | 2 | BPAT | UP | FAIL | PASS | -6455 | -6526.9513 | -6455 | 0 | -71.9513
RTD | 2022-06-19 | 23 | 5 | 2 | BPAT | UP | FAIL | PASS | -6455 | -6519.9054 | -6455 | 0 | -64.9054
RTD | 2022-06-19 | 23 | 6 | 2 | BPAT | UP | FAIL | PASS | -6455 | -6506.0036 | -6455 | 0 | -51.0036
RTD | 2022-06-20 | 7 | 10 | 4 | BPAT | UP | FAIL | PASS | -6942 | -7047 | -6942 | 0 | -105
RTD | 2022-06-20 | 7 | 11 | 4 | BPAT | UP | FAIL | PASS | -6945.5 | -7050.5 | -6945.5 | 0 | -105
RTD | 2022-06-20 | 7 | 12 | 4 | BPAT | UP | FAIL | PASS | -6952.5 | -7057.5 | -6952.5 | 0 | -105
RTD | 2022-06-21 | 6 | 7 | 3 | BPAT | UP | FAIL | PASS | -5311.8704 | -5458.0761 | -5344 | 32.1296 | -114.0761
RTD | 2022-06-21 | 6 | 8 | 3 | BPAT | UP | FAIL | PASS | -5311.8704 | -5507.4476 | -5344 | 32.1296 | -163.4476
RTD | 2022-06-21 | 6 | 9 | 3 | BPAT | UP | FAIL | PASS | -5311.8704 | -5511.4663 | -5344 | 32.1296 | -167.4663
RTD | 2022-06-21 | 6 | 10 | 4 | BPAT | UP | FAIL | PASS | -5344 | -5570.2166 | -5344 | 0 | -226.2166
RTD | 2022-06-21 | 6 | 11 | 4 | BPAT | UP | FAIL | PASS | -5394.625 | -5632.4209 | -5394.625 | 0 | -237.7959
RTD | 2022-06-21 | 6 | 12 | 4 | BPAT | UP | FAIL | PASS | -5477.7724 | -5574.2805 | -5505.125 | 27.3526 | -69.1555
RTD | 2022-06-21 | 17 | 10 | 4 | BPAT | UP | FAIL | PASS | -5471.3762 | -5670 | -5540 | 68.6238 | -130
RTD | 2022-06-21 | 17 | 11 | 4 | BPAT | UP | FAIL | PASS | -5471.3762 | -5533.6807 | -5574.877 | 103.5008 | 41.1963
RTD | 2022-06-21 | 17 | 12 | 4 | BPAT | UP | FAIL | PASS | -5471.3762 | -5676.5042 | -5635.252 | 163.8758 | -41.2522
RTD | 2022-06-22 | 21 | 1 | 1 | BPAT | UP | FAIL | PASS | -7585.5159 | -7585.5159 | -7639.375 | 53.8591 | 53.8591
RTD | 2022-06-22 | 21 | 2 | 1 | BPAT | UP | FAIL | PASS | -7585.5159 | -7585.5159 | -7610.125 | 24.6091 | 24.6091
RTD | 2022-06-22 | 21 | 3 | 1 | BPAT | UP | FAIL | PASS | -7585.5159 | -7585.5159 | -7596 | 10.4841 | 10.4841
RTD | 2022-06-22 | 21 | 4 | 2 | BPAT | UP | FAIL | PASS | -7596 | -7596 | -7596 | 0 | 1.731e-05
RTD | 2022-06-22 | 21 | 5 | 2 | BPAT | UP | FAIL | PASS | -7596 | -7596 | -7596 | 0 | 1.7224e-05
RTD | 2022-06-22 | 21 | 6 | 2 | BPAT | UP | FAIL | PASS | -7596 | -7596 | -7596 | 0 | 1.722e-05
RTD | 2022-06-22 | 21 | 7 | 3 | BPAT | UP | FAIL | PASS | -7596 | -7596 | -7596 | 0 | 1.7273e-05
RTD | 2022-06-22 | 21 | 8 | 3 | BPAT | UP | FAIL | PASS | -7596 | -7596 | -7596 | 0 | 1.48e-05
RTD | 2022-06-22 | 21 | 9 | 3 | BPAT | UP | FAIL | PASS | -7596 | -7596 | -7596 | 0 | 1.4856e-05
RTD | 2022-06-23 | 7 | 11 | 4 | BPAT | UP | FAIL | PASS | -6045.5 | -6045.5 | -6045.5 | 0 | 1.0382e-05
RTD | 2022-06-23 | 7 | 12 | 4 | BPAT | UP | FAIL | PASS | -6072.376 | -6072.3759 | -6072.376 | 0 | 5.7826e-05
RTD | 2022-06-25 | 22 | 1 | 1 | BPAT | UP | FAIL | PASS | -8169.2167 | -8169.2167 | -8207.875 | 38.6583 | 38.6583
RTD | 2022-06-25 | 22 | 2 | 1 | BPAT | UP | FAIL | PASS | -8169.2167 | -8169.2167 | -8210.625 | 41.4083 | 41.4083
RTD | 2022-06-25 | 22 | 4 | 2 | BPAT | UP | FAIL | PASS | -8195.543 | -8195.543 | -8212 | 16.457 | 16.457
RTD | 2022-06-25 | 22 | 5 | 2 | BPAT | UP | FAIL | PASS | -8186 | -8186 | -8186 | 0 | 7.0779e-06
RTD | 2022-06-25 | 22 | 6 | 2 | BPAT | UP | FAIL | PASS | -8186 | -8186 | -8186 | 0 | 7.0813e-06
RTD | 2022-06-25 | 22 | 7 | 3 | BPAT | UP | FAIL | PASS | -8104.9993 | -8166.1589 | -8186 | 81.0007 | 19.8411
RTD | 2022-06-25 | 22 | 8 | 3 | BPAT | UP | FAIL | PASS | -8104.9993 | -8174.9576 | -8186 | 81.0007 | 11.0424
RTD | 2022-06-25 | 22 | 9 | 3 | BPAT | UP | FAIL | PASS | -8104.9993 | -8210.4498 | -8186 | 81.0007 | -24.4498
RTD | 2022-06-26 | 24 | 1 | 1 | BPAT | UP | FAIL | PASS | -6420.125 | -6420.125 | -6420.125 | 0 | 4.131e-06
RTD | 2022-06-26 | 24 | 2 | 1 | BPAT | UP | FAIL | PASS | -6209.375 | -6222.3513 | -6209.375 | 0 | -12.9763
RTD | 2022-06-26 | 24 | 3 | 1 | BPAT | UP | FAIL | PASS | -6104 | -6104 | -6104 | 0 | 4.7532e-06
RTD | 2022-06-27 | 1 | 1 | 1 | BPAT | UP | FAIL | PASS | -5882.75 | -5882.75 | -5882.75 | 0 | 6.0649e-06
RTD | 2022-06-27 | 1 | 2 | 1 | BPAT | UP | FAIL | PASS | -5794.25 | -5794.25 | -5794.25 | 0 | 1.3492e-05
RTD | 2022-06-27 | 1 | 3 | 1 | BPAT | UP | FAIL | PASS | -5750 | -5750 | -5750 | 0 | 6.4086e-06
RTD | 2022-06-27 | 20 | 1 | 1 | BPAT | UP | FAIL | PASS | -7190 | -7189.9999 | -7190 | 0 | 6.8534e-05
RTD | 2022-06-27 | 20 | 2 | 1 | BPAT | UP | FAIL | PASS | -7217.5 | -7217.4999 | -7217.5 | 0 | 7.9947e-05
RTD | 2022-06-27 | 20 | 3 | 1 | BPAT | UP | FAIL | PASS | -7232 | -7232 | -7232 | 0 | 4.5884e-05
RTD | 2022-06-27 | 22 | 1 | 1 | BPAT | UP | FAIL | PASS | -7526.875 | -7689.875 | -7526.875 | 0 | -163
RTD | 2022-06-27 | 22 | 2 | 1 | BPAT | UP | FAIL | PASS | -7479.625 | -7642.625 | -7479.625 | 0 | -163
RTD | 2022-06-27 | 22 | 3 | 1 | BPAT | UP | FAIL | PASS | -7456 | -7619 | -7456 | 0 | -163
RTD | 2022-06-27 | 24 | 1 | 1 | BPAT | UP | FAIL | PASS | -7309.125 | -7309.125 | -7309.125 | 0 | 7.8696e-07
RTD | 2022-06-27 | 24 | 2 | 1 | BPAT | UP | FAIL | PASS | -7321.6667 | -7321.6667 | -7412.375 | 90.7083 | 90.7083
RTD | 2022-06-27 | 24 | 3 | 1 | BPAT | UP | FAIL | PASS | -7321.6667 | -7331.9364 | -7474.75 | 153.0833 | 142.8136
RTD | 2022-06-28 | 1 | 1 | 1 | BPAT | UP | FAIL | PASS | -7054.125 | -7054.125 | -7054.125 | 0 | 4.5225e-06
RTD | 2022-06-28 | 1 | 2 | 1 | BPAT | UP | FAIL | PASS | -6871.375 | -6933.375 | -6871.375 | 0 | -62
RTD | 2022-06-28 | 1 | 3 | 1 | BPAT | UP | FAIL | PASS | -6780 | -6842 | -6780 | 0 | -62
RTD | 2022-06-28 | 9 | 1 | 1 | BPAT | UP | FAIL | PASS | -8056 | -8174.4303 | -8056 | 0 | -118.4303
RTD | 2022-06-28 | 9 | 2 | 1 | BPAT | UP | FAIL | PASS | -8114 | -8207.2242 | -8114 | 0 | -93.2242
RTD | 2022-06-28 | 9 | 3 | 1 | BPAT | UP | FAIL | PASS | -8116.5501 | -8153.702 | -8154 | 37.4499 | 0.29799
RTD | 2022-06-28 | 9 | 4 | 2 | BPAT | UP | FAIL | PASS | -8176 | -8192.7867 | -8176 | 0 | -16.7867
RTD | 2022-06-28 | 9 | 5 | 2 | BPAT | UP | FAIL | PASS | -8187 | -8394.5927 | -8187 | 0 | -207.5927
RTD | 2022-06-28 | 9 | 6 | 2 | BPAT | UP | FAIL | PASS | -8187 | -8304.2758 | -8187 | 0 | -117.2758
RTD | 2022-06-28 | 9 | 7 | 3 | BPAT | UP | FAIL | PASS | -8187 | -8449 | -8187 | 0 | -262
RTD | 2022-06-28 | 9 | 8 | 3 | BPAT | UP | FAIL | PASS | -8187 | -8449 | -8187 | 0 | -262
RTD | 2022-06-28 | 9 | 9 | 3 | BPAT | UP | FAIL | PASS | -8187 | -8434.2992 | -8187 | 0 | -247.2992
RTD | 2022-06-28 | 9 | 10 | 4 | BPAT | UP | FAIL | PASS | -8187 | -8409.9073 | -8187 | 0 | -222.9073
RTD | 2022-06-28 | 9 | 11 | 4 | BPAT | UP | FAIL | PASS | -8174.375 | -8406.5113 | -8174.375 | 0 | -232.1363
RTD | 2022-06-28 | 9 | 12 | 4 | BPAT | UP | FAIL | PASS | -8149.125 | -8371.75 | -8149.125 | 0 | -222.625
RTD | 2022-06-29 | 21 | 6 | 2 | BPAT | UP | FAIL | PASS | -6429.5 | -6605.3592 | -6590 | 160.5 | -15.3592
RTD | 2022-06-29 | 21 | 7 | 3 | BPAT | UP | FAIL | PASS | -6590 | -6618.5199 | -6590 | 0 | -28.5199
RTD | 2022-06-29 | 21 | 8 | 3 | BPAT | UP | FAIL | PASS | -6590 | -6623.9722 | -6590 | 0 | -33.9722
RTD | 2022-06-29 | 21 | 9 | 3 | BPAT | UP | FAIL | PASS | -6590 | -6668.0189 | -6590 | 0 | -78.0189
RTD | 2022-06-30 | 21 | 1 | 1 | BPAT | UP | FAIL | PASS | -5858.4163 | -5858.4162 | -5952 | 93.5837 | 93.5838
RTD | 2022-06-30 | 21 | 2 | 1 | BPAT | UP | FAIL | PASS | -5823.1186 | -5823.1207 | -5941.75 | 118.6314 | 118.6293
RTD | 2022-06-30 | 21 | 3 | 1 | BPAT | UP | FAIL | PASS | -5794.0101 | -5794.0122 | -5823 | 28.9899 | 28.9878
RTD | 2022-06-30 | 23 | 8 | 3 | BPAT | UP | FAIL | PASS | -5985 | -5985 | -5985 | 0 | 3.5136e-05
RTD | 2022-06-30 | 23 | 9 | 3 | BPAT | UP | FAIL | PASS | -5985 | -5985 | -5985 | 0 | 3.5136e-05
RTD | 2022-06-30 | 23 | 10 | 4 | BPAT | UP | FAIL | PASS | -5985 | -5985 | -5985 | 0 | 1.1098e-05
RTD | 2022-06-30 | 23 | 11 | 4 | BPAT | UP | FAIL | PASS | -5915 | -5915 | -5915 | 0 | 1.5001e-05
RTD | 2022-06-30 | 23 | 12 | 4 | BPAT | UP | FAIL | PASS | -5898.125 | -5898.125 | -5898.125 | 0 | 8.3675e-06
RTD | 2022-06-30 | 24 | 1 | 1 | BPAT | UP | FAIL | PASS | -5877.875 | -5877.875 | -5877.875 | 0 | 4.3927e-05
RTD | 2022-06-30 | 24 | 2 | 1 | BPAT | UP | FAIL | PASS | -5776.742 | -5904.9815 | -5776.742 | 0 | -128.2395
RTD | 2022-06-30 | 24 | 3 | 1 | BPAT | UP | FAIL | PASS | -5776.75 | -5887.9576 | -5776.75 | 0 | -111.2076
RTD | 2022-06-30 | 24 | 4 | 2 | BPAT | UP | FAIL | PASS | -5768.75 | -5926.5965 | -5768.75 | 0 | -157.8465
RTD | 2022-06-30 | 24 | 5 | 2 | BPAT | UP | FAIL | PASS | -5769.9158 | -5967.8563 | -5773 | 3.0842 | -194.8563
RTD | 2022-06-30 | 24 | 6 | 2 | BPAT | UP | FAIL | PASS | -5769.9158 | -5985.7196 | -5770 | 0.084174 | -215.7196
RTD | 2022-06-30 | 24 | 7 | 3 | BPAT | UP | FAIL | PASS | -5715.9991 | -6101.6245 | -5801.5 | 85.5009 | -300.1245
RTD | 2022-06-30 | 24 | 8 | 3 | BPAT | UP | FAIL | PASS | -5715.9991 | -6032.5323 | -5811 | 95.0009 | -221.5323
RTD | 2022-06-30 | 24 | 9 | 3 | BPAT | UP | FAIL | PASS | -5715.9991 | -5996.8715 | -5830.5 | 114.5009 | -166.3715
RTD | 2022-06-30 | 24 | 10 | 4 | BPAT | UP | FAIL | PASS | -5715.9983 | -5901.6701 | -5869.5 | 153.5017 | -32.1701
RTD | 2022-06-30 | 24 | 11 | 4 | BPAT | UP | FAIL | PASS | -5715.9983 | -6075.9946 | -5820.875 | 104.8767 | -255.1196
RTD | 2022-06-30 | 24 | 12 | 4 | BPAT | UP | FAIL | PASS | -5715.9983 | -6149.6405 | -5862.875 | 146.8767 | -286.7655
RTD | 2022-06-08 | 1 | 1 | 1 | NEVP | UP | FAIL | PASS | 903.625 | 903.6257 | 903.625 | 0 | 0.00072143
RTD | 2022-06-08 | 1 | 2 | 1 | NEVP | UP | FAIL | PASS | 907.375 | 907.3757 | 907.375 | 0 | 0.00072005
RTD | 2022-06-08 | 1 | 3 | 1 | NEVP | UP | FAIL | PASS | 885 | 885.0007 | 885 | 0 | 0.0007193
RTD | 2022-06-09 | 1 | 1 | 1 | NEVP | UP | PASS | FAIL | 1201.0016 | 731.4668 | 789.7 | 411.3016 | -58.2332
RTD | 2022-06-09 | 1 | 2 | 1 | NEVP | UP | PASS | FAIL | 1201.0016 | 846.3801 | 763.75 | 437.2516 | 82.6301
RTD | 2022-06-09 | 1 | 3 | 1 | NEVP | UP | PASS | FAIL | 1201.0016 | 925.3349 | 750 | 451.0016 | 175.3349
RTD | 2022-06-18 | 9 | 1 | 1 | NEVP | UP | FAIL | PASS | 954.1706 | 893.9954 | 723.875 | 230.2956 | 170.1204
RTD | 2022-06-18 | 9 | 2 | 1 | NEVP | UP | FAIL | PASS | 954.1706 | 945.0942 | 714.625 | 239.5456 | 230.4692
RTD | 2022-06-18 | 9 | 3 | 1 | NEVP | UP | FAIL | PASS | 954.1706 | 954.1707 | 711 | 243.1706 | 243.1707
RTD | 2022-06-23 | 8 | 1 | 1 | NEVP | UP | FAIL | PASS | 1030.93 | 953.1604 | 788 | 242.93 | 165.1604
RTD | 2022-06-23 | 8 | 2 | 1 | NEVP | UP | FAIL | PASS | 1030.93 | 998.2952 | 754 | 276.93 | 244.2952
RTD | 2022-06-23 | 8 | 3 | 1 | NEVP | UP | FAIL | PASS | 1030.93 | 1004.5617 | 737 | 293.93 | 267.5617
RTD | 2022-06-23 | 8 | 4 | 2 | NEVP | UP | FAIL | PASS | 1252.4849 | 884.1493 | 737 | 515.4849 | 147.1493
RTD | 2022-06-23 | 8 | 5 | 2 | NEVP | UP | FAIL | PASS | 1252.4849 | 833.999 | 737 | 515.4849 | 96.999
RTD | 2022-06-23 | 8 | 6 | 2 | NEVP | UP | FAIL | PASS | 1252.4849 | 642.5584 | 737 | 515.4849 | -94.4416
RTD | 2022-06-24 | 8 | 1 | 1 | NEVP | UP | FAIL | PASS | 1036.7581 | 909.2841 | 811.75 | 225.0081 | 97.5341
RTD | 2022-06-24 | 8 | 2 | 1 | NEVP | UP | FAIL | PASS | 1036.7581 | 943.0471 | 781.25 | 255.5081 | 161.7971
RTD | 2022-06-24 | 8 | 3 | 1 | NEVP | UP | FAIL | PASS | 1036.7581 | 1036.7581 | 766 | 270.7581 | 270.7581
RTD | 2022-06-24 | 8 | 4 | 2 | NEVP | UP | FAIL | PASS | 1030.8748 | 1030.8749 | 766 | 264.8748 | 264.8749
RTD | 2022-06-24 | 8 | 5 | 2 | NEVP | UP | FAIL | PASS | 1030.8748 | 1030.8756 | 766 | 264.8748 | 264.8756
RTD | 2022-06-24 | 8 | 6 | 2 | NEVP | UP | FAIL | PASS | 1030.8748 | 1030.8749 | 766 | 264.8748 | 264.8749
RTD | 2022-06-22 | 18 | 7 | 3 | NWMT | UP | FAIL | PASS | 357.3442 | 357.3443 | 273 | 84.3442 | 84.3443
RTD | 2022-06-22 | 18 | 8 | 3 | NWMT | UP | FAIL | PASS | 357.3442 | 357.3443 | 273 | 84.3442 | 84.3443
RTD | 2022-06-27 | 18 | 1 | 1 | NWMT | UP | FAIL | PASS | 667.625 | 641.7055 | 667.625 | 0 | -25.9195
RTD | 2022-06-27 | 18 | 2 | 1 | NWMT | UP | FAIL | PASS | 659.875 | 630.4429 | 659.875 | 0 | -29.4321
RTD | 2022-06-27 | 18 | 3 | 1 | NWMT | UP | FAIL | PASS | 656 | 625.5218 | 656 | 0 | -30.4782
RTD | 2022-06-27 | 18 | 4 | 2 | NWMT | UP | FAIL | PASS | 656 | 621.1391 | 656 | 0 | -34.8609
RTD | 2022-06-27 | 18 | 5 | 2 | NWMT | UP | FAIL | PASS | 656 | 624.1176 | 656 | 0 | -31.8824
RTD | 2022-06-27 | 18 | 6 | 2 | NWMT | UP | FAIL | PASS | 656 | 647.0544 | 656 | 0 | -8.9456
RTD | 2022-06-27 | 18 | 7 | 3 | NWMT | UP | FAIL | PASS | 656 | 643.2273 | 656 | 0 | -12.7727
RTD | 2022-06-27 | 18 | 8 | 3 | NWMT | UP | FAIL | PASS | 656 | 639.1113 | 656 | 0 | -16.8887
RTD | 2022-06-27 | 18 | 9 | 3 | NWMT | UP | FAIL | PASS | 656 | 648.6135 | 656 | 0 | -7.3865
RTD | 2022-06-08 | 14 | 1 | 1 | PACE | UP | FAIL | PASS | 717.7751 | 717.7759 | 668 | 49.7751 | 49.7759
RTD | 2022-06-08 | 14 | 2 | 1 | PACE | UP | FAIL | PASS | 717.7751 | 717.7759 | 660 | 57.7751 | 57.7759
RTD | 2022-06-08 | 14 | 3 | 1 | PACE | UP | FAIL | PASS | 717.7751 | 717.7759 | 656 | 61.7751 | 61.7759
RTD | 2022-06-23 | 14 | 1 | 1 | PACE | UP | FAIL | PASS | 886.375 | 886.3739 | 886.375 | 0 | -0.0010502
RTD | 2022-06-23 | 14 | 2 | 1 | PACE | UP | FAIL | PASS | 863.125 | 863.1239 | 863.125 | 0 | -0.0010501
RTD | 2022-06-23 | 14 | 3 | 1 | PACE | UP | FAIL | PASS | 851 | 851.0007 | 851 | 0 | 0.00073905
RTD | 2022-06-27 | 22 | 1 | 1 | PACE | UP | FAIL | PASS | 1204.8603 | 1156.0727 | 1152.375 | 52.4853 | 3.6977
RTD | 2022-06-27 | 22 | 2 | 1 | PACE | UP | FAIL | PASS | 1204.8603 | 1160.5155 | 1123.125 | 81.7353 | 37.3905
RTD | 2022-06-27 | 22 | 3 | 1 | PACE | UP | FAIL | PASS | 1204.8603 | 1144.879 | 1108 | 96.8603 | 36.879
RTD | 2022-06-10 | 10 | 10 | 4 | PACW | UP | FAIL | PASS | 405 | 391.834 | 405 | 0 | -13.166
RTD | 2022-06-10 | 10 | 11 | 4 | PACW | UP | FAIL | PASS | 418.625 | 399.1208 | 418.625 | 0 | -19.5042
RTD | 2022-06-10 | 10 | 12 | 4 | PACW | UP | FAIL | PASS | 452.625 | 405.1895 | 452.625 | 0 | -47.4355
RTD | 2022-06-27 | 23 | 1 | 1 | PACW | UP | PASS | FAIL | 855.5171 | 562.2815 | 430.5 | 425.0171 | 131.7815
RTD | 2022-06-27 | 23 | 2 | 1 | PACW | UP | PASS | FAIL | 855.5171 | 515.0116 | 317.5 | 538.0171 | 197.5116
RTD | 2022-06-27 | 23 | 3 | 1 | PACW | UP | PASS | FAIL | 855.5171 | 452.6229 | 261 | 594.5171 | 191.6229
RTD | 2022-06-28 | 1 | 1 | 1 | PGE | UP | FAIL | PASS | 1398.2702 | 1398.2702 | 1162.375 | 235.8952 | 235.8952
RTD | 2022-06-28 | 1 | 2 | 1 | PGE | UP | FAIL | PASS | 1398.2702 | 1398.2702 | 984.125 | 414.1452 | 414.1452
RTD | 2022-06-28 | 1 | 3 | 1 | PGE | UP | FAIL | PASS | 1398.2702 | 1364 | 895 | 503.2702 | 469
RTD | 2022-06-09 | 15 | 1 | 1 | PSEI | UP | PASS | FAIL | 1253.125 | 1253.1258 | 1253.125 | 0 | 0.00081661
RTD | 2022-06-09 | 15 | 2 | 1 | PSEI | UP | PASS | FAIL | 1251.4041 | 1251.4049 | 1250.375 | 1.0291 | 1.0299
RTD | 2022-06-09 | 15 | 3 | 1 | PSEI | UP | PASS | FAIL | 1251.4041 | 1251.4049 | 1249 | 2.4041 | 2.4049
RTD | 2022-06-09 | 15 | 4 | 2 | PSEI | UP | PASS | FAIL | 1251.4065 | 1251.4073 | 1249 | 2.4065 | 2.4073
RTD | 2022-06-09 | 15 | 5 | 2 | PSEI | UP | PASS | FAIL | 1251.4065 | 1251.4073 | 1249 | 2.4065 | 2.4073
RTD | 2022-06-09 | 15 | 6 | 2 | PSEI | UP | PASS | FAIL | 1251.4065 | 1251.4073 | 1249 | 2.4065 | 2.4073
RTD | 2022-06-11 | 24 | 1 | 1 | PSEI | UP | FAIL | PASS | 1017.6163 | 987.7903 | 890.125 | 127.4913 | 97.6653
RTD | 2022-06-11 | 24 | 2 | 1 | PSEI | UP | FAIL | PASS | 1017.6163 | 896.0937 | 835.375 | 182.2413 | 60.7187
RTD | 2022-06-11 | 24 | 3 | 1 | PSEI | UP | FAIL | PASS | 1017.6163 | 846.1651 | 808 | 209.6163 | 38.1651
RTD | 2022-06-14 | 7 | 10 | 4 | PSEI | UP | PASS | FAIL | 1578.9438 | 1510.0899 | 1357 | 221.9438 | 153.0899
RTD | 2022-06-14 | 7 | 11 | 4 | PSEI | UP | PASS | FAIL | 1578.9438 | 1544.9524 | 1382.375 | 196.5688 | 162.5774
RTD | 2022-06-14 | 7 | 12 | 4 | PSEI | UP | PASS | FAIL | 1578.9438 | 1538.3351 | 1433.125 | 145.8188 | 105.2101
RTD | 2022-06-16 | 23 | 1 | 1 | PSEI | UP | PASS | FAIL | 1160.7642 | 912.3368 | 885.5 | 275.2642 | 26.8368
RTD | 2022-06-16 | 23 | 2 | 1 | PSEI | UP | PASS | FAIL | 1160.7642 | 825.0051 | 859.5 | 301.2642 | -34.4949
RTD | 2022-06-16 | 23 | 3 | 1 | PSEI | UP | PASS | FAIL | 1160.7642 | 798.2861 | 847 | 313.7642 | -48.7139
RTD | 2022-06-21 | 23 | 1 | 1 | PSEI | UP | FAIL | FAIL | 1481.513 | 1481.5138 | 1320.625 | 160.888 | 160.8888
RTD | 2022-06-21 | 23 | 2 | 1 | PSEI | UP | FAIL | FAIL | 1481.513 | 1481.5137 | 1201.875 | 279.638 | 279.6387
RTD | 2022-06-21 | 23 | 3 | 1 | PSEI | UP | FAIL | FAIL | 1481.513 | 1481.5137 | 1143 | 338.513 | 338.5137
RTD | 2022-06-12 | 19 | 1 | 1 | SRP | UP | PASS | FAIL | 1153.6617 | 1153.6617 | 682 | 471.6617 | 471.6617
RTD | 2022-06-12 | 19 | 2 | 1 | SRP | UP | PASS | FAIL | 1153.6617 | 1153.6617 | 726.75 | 426.9117 | 426.9117
RTD | 2022-06-12 | 19 | 3 | 1 | SRP | UP | PASS | FAIL | 1153.6617 | 1153.6617 | 750 | 403.6617 | 403.6617
RTD | 2022-06-12 | 20 | 1 | 1 | SRP | UP | PASS | FAIL | 910.692 | 910.692 | 685.125 | 225.567 | 225.567
RTD | 2022-06-12 | 20 | 2 | 1 | SRP | UP | PASS | FAIL | 910.692 | 899.7543 | 659.375 | 251.317 | 240.3793
RTD | 2022-06-12 | 20 | 3 | 1 | SRP | UP | PASS | FAIL | 910.692 | 909.1093 | 646 | 264.692 | 263.1093
RTD | 2022-06-12 | 23 | 1 | 1 | SRP | UP | FAIL | PASS | 1177 | 1025.4754 | 1177 | 0 | -151.5246
RTD | 2022-06-12 | 23 | 2 | 1 | SRP | UP | FAIL | PASS | 1304 | 1196.0742 | 1304 | 0 | -107.9258
RTD | 2022-06-12 | 23 | 3 | 1 | SRP | UP | FAIL | PASS | 1367 | 1367.0007 | 1367 | 0 | 0.00073134
RTD | 2022-06-12 | 23 | 4 | 2 | SRP | UP | FAIL | PASS | 1591.1176 | 1501.3753 | 1367 | 224.1176 | 134.3753
RTD | 2022-06-12 | 23 | 5 | 2 | SRP | UP | FAIL | PASS | 1591.1176 | 1506.2916 | 1367 | 224.1176 | 139.2916
RTD | 2022-06-12 | 23 | 6 | 2 | SRP | UP | FAIL | PASS | 1591.1176 | 1582.0484 | 1367 | 224.1176 | 215.0484
RTD | 2022-06-13 | 19 | 1 | 1 | SRP | UP | PASS | FAIL | 1396.5001 | 1331.9627 | 1141.875 | 254.6251 | 190.0877
RTD | 2022-06-13 | 19 | 2 | 1 | SRP | UP | PASS | FAIL | 1396.5001 | 1386.3865 | 1166.625 | 229.8751 | 219.7615
RTD | 2022-06-13 | 19 | 3 | 1 | SRP | UP | PASS | FAIL | 1396.5001 | 1396.5001 | 1178 | 218.5001 | 218.5001
RTD | 2022-06-13 | 19 | 4 | 2 | SRP | UP | PASS | FAIL | 1396.5002 | 1396.5002 | 1177 | 219.5002 | 219.5002
RTD | 2022-06-13 | 19 | 5 | 2 | SRP | UP | PASS | FAIL | 1396.5002 | 1396.5002 | 1177 | 219.5002 | 219.5002
RTD | 2022-06-13 | 19 | 6 | 2 | SRP | UP | PASS | FAIL | 1396.5002 | 1396.5002 | 1177 | 219.5002 | 219.5002
RTD | 2022-06-13 | 19 | 7 | 3 | SRP | UP | PASS | FAIL | 1376.0479 | 1376.0479 | 1178 | 198.0479 | 198.0479
RTD | 2022-06-13 | 19 | 8 | 3 | SRP | UP | PASS | FAIL | 1376.0479 | 1354.6759 | 1179 | 197.0479 | 175.6759
RTD | 2022-06-13 | 19 | 9 | 3 | SRP | UP | PASS | FAIL | 1376.0479 | 1263.4572 | 1179 | 197.0479 | 84.4572
RTD | 2022-06-13 | 21 | 1 | 1 | SRP | UP | PASS | FAIL | 1165.375 | 1165.3597 | 1165.375 | 0 | -0.015314
RTD | 2022-06-13 | 21 | 2 | 1 | SRP | UP | PASS | FAIL | 1201.375 | 1179.8035 | 1201.375 | 0 | -21.5715
RTD | 2022-06-13 | 21 | 3 | 1 | SRP | UP | PASS | FAIL | 1215 | 1215 | 1215 | 0 | 1.4725e-06
RTD | 2022-06-22 | 12 | 11 | 4 | SRP | UP | FAIL | PASS | 1433.0133 | 1433.0133 | 1202 | 231.0133 | 231.0133
RTD | 2022-06-22 | 12 | 12 | 4 | SRP | UP | FAIL | PASS | 1433.0133 | 1323.2094 | 1151 | 282.0133 | 172.2094
RTD | 2022-06-24 | 19 | 1 | 1 | SRP | UP | FAIL | PASS | 717.6584 | 717.6584 | 680 | 37.6584 | 37.6584
RTD | 2022-06-24 | 19 | 2 | 1 | SRP | UP | FAIL | PASS | 717.6584 | 717.6584 | 676.5 | 41.1584 | 41.1584
RTD | 2022-06-24 | 19 | 3 | 1 | SRP | UP | FAIL | PASS | 717.6584 | 717.6584 | 672 | 45.6584 | 45.6584
RTD | 2022-06-24 | 19 | 4 | 2 | SRP | UP | FAIL | PASS | 717.6575 | 717.6575 | 672 | 45.6575 | 45.6575
RTD | 2022-06-24 | 19 | 5 | 2 | SRP | UP | FAIL | PASS | 717.6575 | 717.6575 | 672 | 45.6575 | 45.6575
RTD | 2022-06-24 | 19 | 6 | 2 | SRP | UP | FAIL | PASS | 717.6575 | 704.012 | 672 | 45.6575 | 32.012
RTD | 2022-06-28 | 18 | 1 | 1 | SRP | UP | FAIL | PASS | 835.5532 | 835.5539 | 596.75 | 238.8032 | 238.8039
RTD | 2022-06-28 | 18 | 2 | 1 | SRP | UP | FAIL | PASS | 835.5532 | 835.5539 | 600.25 | 235.3032 | 235.3039
RTD | 2022-06-28 | 18 | 3 | 1 | SRP | UP | FAIL | PASS | 835.5532 | 835.5539 | 602 | 233.5532 | 233.5539
RTD | 2022-06-28 | 18 | 4 | 2 | SRP | UP | FAIL | PASS | 658.6123 | 658.6131 | 602 | 56.6123 | 56.6131
RTD | 2022-06-28 | 18 | 5 | 2 | SRP | UP | FAIL | PASS | 658.6123 | 658.6131 | 602 | 56.6123 | 56.6131
RTD | 2022-06-28 | 18 | 6 | 2 | SRP | UP | FAIL | PASS | 658.6123 | 658.6131 | 602 | 56.6123 | 56.6131
RTD | 2022-06-28 | 18 | 7 | 3 | SRP | UP | FAIL | PASS | 658.6145 | 658.6153 | 602 | 56.6145 | 56.6153
RTD | 2022-06-28 | 18 | 8 | 3 | SRP | UP | FAIL | PASS | 658.6145 | 658.6153 | 602 | 56.6145 | 56.6153
RTD | 2022-06-28 | 18 | 9 | 3 | SRP | UP | FAIL | PASS | 658.6145 | 658.6153 | 602 | 56.6145 | 56.6153
RTD | 2022-06-28 | 18 | 10 | 4 | SRP | UP | FAIL | PASS | 658.6168 | 658.6175 | 602 | 56.6168 | 56.6175
RTD | 2022-06-28 | 18 | 11 | 4 | SRP | UP | FAIL | PASS | 658.6168 | 658.6168 | 597.875 | 60.7418 | 60.7418
RTD | 2022-06-28 | 18 | 12 | 4 | SRP | UP | FAIL | PASS | 658.6168 | 658.6168 | 588.625 | 69.9918 | 69.9918
RTD | 2022-06-28 | 19 | 1 | 1 | SRP | UP | FAIL | PASS | 658.619 | 658.619 | 578.375 | 80.244 | 80.244
RTD | 2022-06-28 | 19 | 2 | 1 | SRP | UP | FAIL | PASS | 658.619 | 658.6197 | 569.125 | 89.494 | 89.4947
RTD | 2022-06-28 | 19 | 3 | 1 | SRP | UP | FAIL | PASS | 658.619 | 658.6197 | 564 | 94.619 | 94.6197
RTD | 2022-06-28 | 19 | 4 | 2 | SRP | UP | FAIL | PASS | 658.6212 | 658.6219 | 564 | 94.6212 | 94.6219
RTD | 2022-06-28 | 19 | 5 | 2 | SRP | UP | FAIL | PASS | 658.6212 | 658.6219 | 564 | 94.6212 | 94.6219
RTD | 2022-06-28 | 19 | 6 | 2 | SRP | UP | FAIL | PASS | 658.6212 | 658.6219 | 564 | 94.6212 | 94.6219
RTD | 2022-06-28 | 19 | 7 | 3 | SRP | UP | FAIL | PASS | 658.6234 | 658.6241 | 564 | 94.6234 | 94.6241
RTD | 2022-06-28 | 19 | 8 | 3 | SRP | UP | FAIL | PASS | 658.6234 | 658.6241 | 564 | 94.6234 | 94.6241
RTD | 2022-06-28 | 19 | 9 | 3 | SRP | UP | FAIL | PASS | 658.6234 | 658.6241 | 564 | 94.6234 | 94.6241
RTD | 2022-06-28 | 19 | 10 | 4 | SRP | UP | FAIL | PASS | 658.6239 | 658.6247 | 544 | 114.6239 | 114.6247
RTD | 2022-06-28 | 19 | 11 | 4 | SRP | UP | FAIL | PASS | 658.6239 | 658.6247 | 562 | 96.6239 | 96.6247
RTD | 2022-06-28 | 19 | 12 | 4 | SRP | UP | FAIL | PASS | 658.6239 | 658.6247 | 627 | 31.6239 | 31.6247
RTD | 2022-06-28 | 22 | 1 | 1 | SRP | UP | PASS | FAIL | 905.75 | 817.6963 | 905.75 | 0 | -88.0537
RTD | 2022-06-28 | 22 | 2 | 1 | SRP | UP | PASS | FAIL | 940.25 | 886.5415 | 940.25 | 0 | -53.7085
RTD | 2022-06-28 | 22 | 3 | 1 | SRP | UP | PASS | FAIL | 958 | 951.2278 | 958 | 0 | -6.7722
RTD | 2022-06-07 | 20 | 1 | 1 | TIDC | UP | PASS | FAIL | 187.9595 | 187.9603 | 144 | 43.9595 | 43.9603
RTD | 2022-06-07 | 20 | 2 | 1 | TIDC | UP | PASS | FAIL | 187.9595 | 187.9603 | 163 | 24.9595 | 24.9603
RTD | 2022-06-07 | 20 | 3 | 1 | TIDC | UP | PASS | FAIL | 187.9595 | 187.9603 | 173 | 14.9595 | 14.9603
RTD | 2022-06-07 | 20 | 4 | 2 | TIDC | UP | PASS | FAIL | 187.9618 | 187.9626 | 173 | 14.9618 | 14.9626
RTD | 2022-06-07 | 20 | 5 | 2 | TIDC | UP | PASS | FAIL | 187.9618 | 187.9626 | 173 | 14.9618 | 14.9626
RTD | 2022-06-07 | 20 | 6 | 2 | TIDC | UP | PASS | FAIL | 187.9618 | 187.9618 | 173 | 14.9618 | 14.9618
RTD | 2022-06-07 | 20 | 7 | 3 | TIDC | UP | PASS | FAIL | 187.9625 | 187.9625 | 173 | 14.9625 | 14.9625
RTD | 2022-06-07 | 20 | 8 | 3 | TIDC | UP | PASS | FAIL | 187.9625 | 187.9625 | 173 | 14.9625 | 14.9625
RTD | 2022-06-07 | 20 | 9 | 3 | TIDC | UP | PASS | FAIL | 187.9625 | 187.9625 | 173 | 14.9625 | 14.9625
RTD | 2022-06-07 | 20 | 10 | 4 | TIDC | UP | PASS | FAIL | 187.9648 | 187.9648 | 173 | 14.9648 | 14.9648
RTD | 2022-06-07 | 20 | 11 | 4 | TIDC | UP | PASS | FAIL | 187.9648 | 187.9648 | 176 | 11.9648 | 11.9648
RTD | 2022-06-07 | 20 | 12 | 4 | TIDC | UP | PASS | FAIL | 187.9648 | 187.9648 | 183 | 4.9648 | 4.9648
RTD | 2022-06-08 | 24 | 1 | 1 | TPWR | UP | PASS | FAIL | -72.874 | -72.8737 | -72.874 | 0 | 0.00028573
RTD | 2022-06-08 | 24 | 2 | 1 | TPWR | UP | PASS | FAIL | -53.624 | -53.6238 | -53.624 | 0 | 0.00024932
RTD | 2022-06-08 | 24 | 3 | 1 | TPWR | UP | PASS | FAIL | -44 | -44 | -44 | 0 | 6.9407e-06
RTD | 2022-06-22 | 17 | 4 | 2 | TPWR | UP | FAIL | PASS | 136.1411 | 136.1411 | 83 | 53.1411 | 53.1411
RTD | 2022-06-22 | 17 | 5 | 2 | TPWR | UP | FAIL | PASS | 136.1411 | 136.1411 | 83 | 53.1411 | 53.1411
RTD | 2022-06-22 | 17 | 6 | 2 | TPWR | UP | FAIL | PASS | 136.1411 | 136.1411 | 83 | 53.1411 | 53.1411
RTD | 2022-06-22 | 17 | 7 | 3 | TPWR | UP | FAIL | PASS | 134.88 | 134.88 | 83 | 51.88 | 51.88
RTD | 2022-06-22 | 17 | 9 | 3 | TPWR | UP | FAIL | PASS | 134.88 | 132.831 | 83 | 51.88 | 49.831
RTD | 2022-06-22 | 17 | 10 | 4 | TPWR | UP | FAIL | PASS | 134.88 | 80.0037 | 83 | 51.88 | -2.9963
RTD | 2022-06-22 | 17 | 11 | 4 | TPWR | UP | FAIL | PASS | 134.88 | 93.4784 | 83.875 | 51.005 | 9.6034
RTD | 2022-06-22 | 17 | 12 | 4 | TPWR | UP | FAIL | PASS | 134.88 | 131.3196 | 85.625 | 49.255 | 45.6946