## ConsolidatedWorkSheet21-22
2021-2022 Transmission Plan High Voltage Transmission Access Charge Capital Costs ($ millions - current dollars)
2022 | Forward | [8 empty] | SCE
Delete Projects(strike-through) if project was completed in 2021 and costs are in rate base | [9 empty] | PG&E
SDG&E
Note that the estimates provided below are approximate, and were provided by various project sponsors to support the TAC estimating exercise. | [9 empty] | VEA
This data should not be relied upon for any other purpose. | [9 empty] | GLW
Other/competitive solicitation
OnHold Projects
Reliability Projects - to be updated with total capital cost including AFUDC at year of capitalization (commissioning)
- For projects without CWIP-in-ratebase, total project cost in year of commissioning
- For projects with CWIP-in-ratebase, total project cost and capital expenditures in each year up to and including year of commissioning (no AFUDC)
Project Name | CWIP-in-Rate Base? | Total(21-22) | Already reflected in rates ** | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036
*Estrella Substation Project - 230 kV |  | 55 |  | 2024: 45; 2025: 10
Gates 500 kV Dynamic Reactive Support Project*** |  | 250 |  | 2027: 250
Phasor measurement units (assumed all high voltage for simplicity) |  | 11 |  | 2024: 11
Round Mountain 500 kV Dynamic Reactive Support Project*** |  | 190 |  | 2027: 190
Gamebird 230/138 kV Transformer Upgrade*** |  | 15 | 14 | bar: 2022 to 2036
*Estrella Substation Project - 230 kV (PG&E Project Component) |  | 19.4 |  | 2026: 19.4
Gates 500 kV Dynamic Reactive Support Project (PG&E Project Component) |  | 94.5 |  | 2024: 94.5
Round Mountain 500 kV Dynamic Reactive Support Project (PG&E Project Component) |  | 78 |  | 2024: 78
*Glenn 230/60 kV Transformer No. 1 Replacement |  | 8 |  | 2022: 8
*Pittsburg 230/115 kV Transformer Capacity Increase |  | 7.2 |  | 2025: 7.2
*Rio Oso 230/115 kV Transformer Upgrades |  | 15.6 |  | 2024: 15.6
*Wilson 115 kV Reinforcement |  | 23 |  | 2027: 23
East Shore 230 kV Bus Terminals Reconfiguration*** |  | 2.6 |  | 2026: 2.6
GoldHill 230/115 kV T/F Addition Project*** |  | 7.2 |  | 2028: 7.2
Lockeford-Lodi Area 230 kV Development |  | 90 |  | 2027: 90
Martin 230 kV Bus Extension |  | 284 |  | 2024: 284
Midway-Kern PP #2 230 kV Line |  | 7 |  | 2024: 7
Monta Vista 230 kV Bus Upgrade |  | 64 |  | 2024: 64
Moraga 230 kV Bus Upgrade*** |  | 19 |  | 2027: 19
Moraga-Castro Valley 230 kV Line Capacity Increase Project |  | 4.5 |  | 2024: 4.5
Newark 230/115 kV Transformer Bank #7 Circuit Breaker Addition*** |  | 4.6 |  | 2026: 4.6
Rio Oso Area 230 kV Voltage Support |  | 44 |  | 2024: 44
Tesla 230 kV Bus Series Reactor Project (Central Valley Area)*** |  | 25 |  | 2023: 25
Jefferson 230 kV Bus Upgrade*** |  | 16 |  | 2026: 16
Vaca Dixon-Lakeville 230 kV Corridor Series Compensation |  | 20 |  | 2028: 20
Cottonwood 230/115 kV Transformers 1 and 4 Replacement Project |  | 13.725 |  | 2024: 13.725
Midway-Kern PP Nos. 1,3 and 4 230 kV Lines Capacity Increase |  | 0
Ravenswood 230/115 kV transformer #1 Limiting Facility Upgrade |  | 1 | bar: 2024
Contra Costa 230 kV Line Terminals Reconfiguration |  | 10 |  | 2025: 10
Vasona-Metcalf 230 kV Line Limiting Elements Removal Project (Greater Bay Area) |  | 1.2 |  | 2025: 1.2
Cortina 230/115/60 kV Bank #1 Replacement (Sacramento Division) |  | 12.6 |  | 2027: 12.6
San Jose Area HVDC Line (Newark - NRS) |  | 510 |  | 2026: 127.5; 2027: 127.5; 2028: 127.5; 2029: 127.5
San Jose Area HVDC Line (Metcalf – San Jose) |  | 615 |  | 2026: 153.75; 2027: 153.75; 2028: 153.75; 2029: 153.75
Metcalf 230 kV Substation Circuit Breaker #No 292 Upgrade |  | 1.35 |  | 2025: 1.35
Table Mountain second 500/230 kV transformer |  | 76.8 |  | 2027: 38.4; 2028: 38.4
Atlantic 230/60 kV transformer voltage regulator |  | 10 |  | 2026: 5; 2027: 5
Alberhill | Yes | 313.9364 | 33.665 | 2023: 11.641; 2024: 72.6449; 2025: 124.5107; 2026: 3.3853; 2027: 68.0896
Lugo Substation Install new 500 kV CBs for AA Banks | No | 7.9588 | 0 | 2024: 7.9588
Lugo-Victorville 500 kV Upgrade (SCE Portion) | No | 17.3739 | 15.9708 | 2023: 0.35078; 2024: 0.35078; 2025: 0.35078; 2026: 0.35078
Mesa Loop-in | Yes | 412.4377 | 408.7021 | 2023: 3.7355
Method of Service for Wildlife 230/66 kV Substation | Yes | 585.7434 | 70.6207 | 2023: 167.5617; 2024: 120.0689; 2025: 20.7653; 2026: 21.1598; 2027: 185.567
Moorpark-Pardee 4th 230 kV circuit+A59 | No | 72.9057 | 60.3309 | 2023: 12.5748
Pardee-Sylmar 230 kV Line Rating Increase Project*** | No | 28.6207 | 0 | 2022: 2.972; 2023: 16.7445; 2024: 8.9042
Devers 230 kV Reconfiguration Project |  | 6 |  | 2023: 3; 2024: 3
Victor 230 kV Switchrack Reconfiguration |  | 5 |  | 2023: 2.5; 2024: 2.5
Artesian 230 kV Sub & loop-in TL23051 |  | 6.25 |  | 2022: 6.25
Southern Orange County Reliability Upgrade Project - Alternative 3 |  | 103.2 |  | 2022: 68.3; 2023: 34.2; 2024: 0.7
*Midway-Andrew 230 kV Project ( North of Mesa - On Hold) |  | 0 |  | 2028: 0
*Wheeler Ridge Junction Station (On Hold) |  | 0 |  | 2027: 0
TOTAL ($M) |  | 4165.7018 | 603.2896 | 85.522 | 278.3084 | 878.4525 | 175.3768 | 353.7458 | 1162.9067 | 346.85 | 281.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Policy and economic (RTPP) to be updated with total capital cost including AFUDC at year of capitalization (commissioning)
- For projects without CWIP-in-ratebase, total project cost in year of commissioning
- For projects with CWIP-in-ratebase, total project cost and capital expenditures in each year up to and including year of commissioning (no AFUDC)
Project Name | CWIP-in-Rate Base? | Total(21-22) | Already reflected in rates ** | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036
IID S-Line Upgrade |  | 50 |  | 2024: 50
Delaney-Colorado River 500 kV line (Ten West Link) and terminations |  | 380 |  | 2022: 190; 2023: 190
Harry Allen-Eldorado 500 kV line |  | 205 |  | 2022: 100; 2023: 105
Warnerville-Bellota 230 kV Line Reconductoring |  | 107 |  | 2024: 88; 2025: 19
Moss Landing-Panoche 230 kV Path Upgrade |  | 2 |  | 2022: 2
Reconductor Delevan-Cortina 230kV line |  | 35.4 |  | 2028: 17.7; 2029: 17.7
New Collinsville 500 kV substation |  | 675 |  | 2026: 168.75; 2027: 168.75; 2028: 168.75; 2029: 168.75
New Manning 500 kV substation |  | 485 |  | 2026: 121.25; 2027: 121.25; 2028: 121.25; 2029: 121.25
Installing 10 ohms series reactors on the PG&E’s Moss Landing – Las Aguilas 230 kV line |  | 20 |  | 2026: 10; 2027: 10
Lugo – Eldorado-Mohave series cap and terminal equipment upgrade | Yes | 224.858 | 191.603 | 2023: 30.9911; 2024: 0.75465; 2025: 0.75465; 2026: 0.75465
TRTP Environmental Restoration/ Remediation | Yes | 15.7757 | 8.152 | 2023: 2.24; 2024: 1.736; 2025: 1.3521; 2026: 1.0524; 2027: 0.77429; 2028: 0.21429; 2029: 0.14477; 2030: 0.11001
Laguna Bell-Mesa No. 1 230 kV Line Rating Increase Project |  | 17.3 |  | 2023: 8.65; 2024: 8.65
GLW/VEA area upgrades |  | 278 |  | 2023: 69.5; 2024: 69.5; 2025: 69.5; 2026: 69.5
TOTAL ($M) |  | 2200.0337 | 199.755 | 292 | 406.3811 | 218.6406 | 90.6067 | 371.307 | 300.7743 | 307.9143 | 307.8448 | 0.11001 | 0 | 0 | 0 | 0 | 0 | 0
Non-RTPP Driven Projects - to be updated with total capital cost including AFUDC at year of capitalization (commissioning)
- For projects without CWIP-in-ratebase, total project cost in year of commissioning
- For projects with CWIP-in-ratebase, total project cost and capital expenditures in each year up to and including year of commissioning (no AFUDC)
Project Name | CWIP-in-Rate Base? | Total | Already reflected in rates ** | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036
Colorado River Substation Expansion | Yes | 20.8361 | 15.9148 | 2023: 4.9214
Red Bluff 2nd 'AA' Bank | No | 21.1286 | 15.9799 | 2023: 5.1487
Calcite | Yes | 45.8132 | 8.2103 | 2023: 19.3193; 2024: 18.2835
TOTAL ($M) |  | 87.7779 | 40.1051 | 0 | 29.3894 | 18.2835 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
* Consists of above and below 200 kV components
** Based on Annualy Filed PTO TRR Data on ISO Website-CAISO January 01, 2020 TAC Rates (updated as of January 16, 2020)-SCE( Based on SCE's TO2021 Formula Annual Update, Effective 1/1/2021)
***Costs based on high range of the approved request window submissions.