## Results
|  |  |  | CA |  | NWPP | Total |  |  |  | CA | WECC |  |  |  | CA | WECC
|  |  |  | California Independent System Operator |  | PacifiCorp
| Capacity Savings in CAISO and PacifiCorp in 2020 | [6 empty] | Capacity Savings in California and Rest of Region in 2030 |  |  |  |  | Capacity Savings in California and Rest of Region in 2020-Regional
|  |  |  | ISO | PacifiCorp |  | ISO+PAC Total |  |  |  | California | Rest of Region |  |  |  | California | Rest of Region
1 | Capacity Requirement |  | [1] | 115% |  | 113% |  | Subregion Capacity Requirement |  | [1] | 115-116.1% | 75-116.1 | Subregion Capacity Requirement |  | [1] | 115-116.1% | 75-116.1
2 | Non-Coincident Peak (MW) |  | [2] | 47009.5734 |  | 13234 | 60243.5734 | Sum of BA Non-Coincident Peaks (MW) |  | [2] | 57187.7934 | 85302.4117 | Sum of BA Non-Coincident Peaks (MW) |  | [2] | 59688.3171 | 75829
3 | Median Coincidence Factor |  | [3] | 99.66% |  | 92.19% |  | BA Coincidence Factor (Coincidence with subregion peak) |  | [3] | 99.23% | 94.21% | BA Coincidence Factor (Coincidence with subregion peak) |  | [3] | 99.29% | 94.02%
4 | BA's Share of Regional Market Peak (MW) |  | [4] | 46849.3135 |  | 12200.751 | 59050.0645 | Sum of BA Peak Loads Coincident with Subregion Peak (MW) |  | [4] | 56746.8797 | 80363.8576 | Sum of BA Peak Loads Coincident with Subregion Peak (MW) |  | [4] | 59262.3515 | 71294.7587
5 | Potential Capacity Savings (MW) |  | [5] | 184.2989 |  | 1167.5714 | 1351.8702 | Potential Savings: Sharing Within Subregions (MW) |  | [5] | 507.9696 | 5702.5701 | Potential Savings: Sharing Within Subregions (MW) |  | [5] | 490.7092 | 5235.6054
6 | Maximum Transmission Import Capability (MW) |  | [6] | 982 |  | 776 |  | Savings Already Captured (Estimated) (MW) |  | [6] | 0 | 4480.5615 | Savings Already Captured (Estimated) (MW) |  | [6] | 0 | 4136.1659
7 | Savings w/ Current Transmission (MW) |  | [7] | 184.2989 |  | 776 | 960.2989 | Incremental Savings w/ Current Transmission: Sharing Within Subregions (MW) |  | [7] | 362.8633 | 604.195 | Incremental Savings w/ Current Transmission: Sharing Within Subregions (MW) |  | [7] | 353.0665 | 532.5591
8 | Percentage of Total Savings |  | [8] | 0.392% |  | 5.864% |  | Savings Requiring Transmission Upgrades (MW) |  | [8] | 145.1063 | 617.8136 | Savings Requiring Transmission Upgrades (MW) |  | [8] | 137.6427 | 566.8804
9 | Savings Requiring Transmission Upgrades (MW) |  | [9] | 0 |  | 391.5714 | 391.5714 | Average Coincidence Factor (Coincident with WECC-PMAs peak) |  | [9] | 98.11% | 96.33% | Average Coincidence Factor (Coincident with WECC-PMAs peak) |  | [9] | 98.09% | 99.78%
| Percentage of Total Savings |  | [10] | 0% |  | 2.959% |  | Estimated Load During WECC Peak (MW) |  | [10] | 55676.3992 | 77414.8823 | Estimated Load During WECC Peak (MW) |  | [10] | 58128.8245 | 71141.0994
10 | Avoided Cost of Capacity Savings ($/kW-yr) |  | [11] | 35 |  | 39 |  | Potential Savings: Sharing Across Subregions (MW) |  | [11] | 1231.0526 | 3384.7811 | Potential Savings: Sharing Across Subregions (MW) |  | [11] | 1303.556 | 2990.6333
11 | [7 empty] | Incremental Savings w/ Current Transmission: Sharing Across Subregions (MW) |  | [12] | 1231.0526 | 2060.3654 | Incremental Savings w/ Current Transmission: Sharing Across Subregions (MW) |  | [12] | 1303.556 | 1855.8177
12 | Total $ Savings w/Current Transmission ($ million/year) |  | [12] | 6.4505 |  | 30.264 | 36.7145 | Savings Requiring Transmission Upgrades (MW) |  | [13] | 0 | 1324.4157 | Savings Requiring Transmission Upgrades (MW) |  | [13] | 0 | 1134.8156
13 | Total $ Savings Requiring Transmission Upgrades |  | [13] | 0 |  | 15.2713 | 15.2713 | Total Savings Requiring Transmission Upgrades ( =[8] + [13]) (MW) |  | [14] | 145.1063 | 1942.2293 | Total Savings Requiring Transmission Upgrades ( =[8] + [13]) (MW) |  | [14] | 137.6427 | 1701.696
14 | [7 empty] | Percentage of Non-Coincident Peak Load |  | [15] | 0.2537% | 2.277% | Percentage of Non-Coincident Peak Load |  | [15] | 0.2306% | 2.244%
15 | Sources and Notes: | [6 empty] | Total Savings w/Current Transmission (=[7] + [12]) (MW) |  | [16] | 1593.9159 | 2664.5604 | Total Savings w/Current Transmission (=[7] + [12]) (MW) |  | [16] | 1656.6226 | 2388.3768
| [1] | Based on PacifiCorp 2014 IRP and CAISO published reserve margins. | [5 empty] | Percentage of Non-Coincident Peak Load |  | [17] | 2.787% | 3.124% | Percentage of Non-Coincident Peak Load |  | [17] | 2.775% | 3.15%
16 | [2] | Forecast 2020 Non-Coincident Peak Loads. ISO from 2015 IEPR, equal to CEC 'Mid Baseline Case.' PacifiCorp from 2015 LAR Peak and Energy forecast, PACE + PACW coincident peak. | [5 empty] | Avoided Cost of Capacity Savings ($/kW-yr) |  | [18] | 75 | 100 | Avoided Cost of Capacity Savings ($/kW-yr) |  | [18] | 35 | 35
| [3] | Median of annual coincidence factors calculated based on 4CP of hourly load profiles from 2006 to 2014.
17 | [4] | [2] * [3] | [5 empty] | Total Avoided Cost w/Current Transmission ($ million/yr) |  | [19] | 119.5437 | 266.456 | Total Avoided Cost w/Current Transmission ($ million/yr) |  | [19] | 57.9818 | 83.5932
18 | [5] | [1] * ([2] - [4]) | [5 empty] | Total Avoided Cost Requiring Transmission Upgrades ($ million/yr) |  | [20] | 10.883 | 194.2229 | Total Avoided Cost Requiring Transmission Upgrades ($ million/yr) |  | [20] | 4.8175 | 59.5594
| [6] | Contracted import capability for the ISO and PacifiCorp.
19 | [7] | Minimum of [5] and [6]
20 | [8] | [7] / [2] | [5 empty] | Sources and Notes: |  |  |  |  | Sources and Notes:
| [9] | [5] - [7] | [5 empty] | [1] | Capacity requirement based on WECC-determined reserve margin levels as reported in 2015 NERC LTRA |  |  |  | [1] | Capacity requirement based on WECC-determined reserve margin levels as reported in 2015 NERC LTRA
| [10] | [9] / [2] | [5 empty] | [2] | Sum of forecast BA Non-Coincident Peak Loads in 2030 |  |  |  | [2] | Sum of forecast BA Non-Coincident Peak Loads in 2020-Regional
| [11] | ISO's value reflects 2012-2016 weighted-average contract prices. High end of PacifiCorp rang reflects capacity cost net of energy margins for two units as reported in the 2015 IRP. The low end reflects the fact that these units are not expected to come online before 2020. | [5 empty] | [3] | [4] / [2] |  |  |  | [3] | [4] / [2]
| [12] | [11] * [7] | [5 empty] | [4] | Sum of forecast BA Coincident Peak Loads in 2030 |  |  |  | [4] | Sum of forecast BA Coincident Peak Loads in 2020-Regional
[8 empty] | [5] | Sum of potential savings from sharing within subregions [Approximately [1] * ([4] - [2])] |  |  |  | [5] | Sum of potential savings from sharing within subregions [Approximately [1] * ([4] - [2])]
[8 empty] | [6] | Capacity savings already achieved by Bas based on internal reserve margins |  |  |  | [6] | Capacity savings already achieved by Bas based on internal reserve margins
[8 empty] | [7] | Savings achievable with current transmission into each BA |  |  |  | [7] | Savings achievable with current transmission into each BA
[8 empty] | [8] | Savings requiring additional transmission based on within-subregion transmission limits in WECC LAR zonal model. |  |  |  | [8] | Savings requiring additional transmission based on within-subregion transmission limits in WECC LAR zonal model.
[8 empty] | [9] | [10] / [4] |  |  |  | [9] | [10] / [4]
[8 empty] | [10] | [4] *[9] |  |  |  | [10] | [4] *[9]
[8 empty] | [11] | Sum of potential savings from sharing across subregions [Approximately [1] * ([4] - [10])]. California savings California subregion savings. |  |  |  | [11] | Sum of potential savings from sharing across subregions [Approximately [1] * ([4] - [10])]. California savings California subregion savings.
[8 empty] | [12] | Savings achievable with current transmission into each subregion |  |  |  | [12] | Savings achievable with current transmission into each subregion
[8 empty] | [13] | Savings requiring additional transmission based on across-subregion transmission limits in WECC LAR zonal model. |  |  |  | [13] | Savings requiring additional transmission based on across-subregion transmission limits in WECC LAR zonal model.
[8 empty] | [14] | [8] + [13] |  |  |  | [14] | [8] + [13]
[8 empty] | [15] | [14] / [2] |  |  |  | [15] | [14] / [2]
[8 empty] | [16] | [7] + [12] |  |  |  | [16] | [7] + [12]
[8 empty] | [17] | [16] / [2] |  |  |  | [17] | [16] / [2]
[8 empty] | [18] | Assumed avoided cost of $75/kW-yr in California and $100/kW-yr in Rest of Region |  |  |  | [18] | Assumed avoided cost of $35/kW-yr in California and $35/kW-yr in Rest of Region
[8 empty] | [19] | [16] * [18] |  |  |  | [19] | [16] * [18]
[8 empty] | [20] | [14] * [18] |  |  |  | [20] | [14] * [18]

## 2020 CAISO+PAC
|  |  |  | 1 | 2 | [11 empty] | 3 | 4 | 5 | 6 | 7 | 8
Multi-Year Peak Loads by Balancing Authority for 2020 CAISO + PAC
| Balancing Area Authority |  | WECC Subregion | Planning Reserve Margin | Non-Coincident Peak Load | 2006 CF | 2007 CF | 2008 CF | 2009 CF | 2010 CF | 2011 CF | 2012 CF | 2013 CF | 2014 CF | Median CF | Average CF | Median Coincidence Factor | Share of Coincident Peak | Potential Regionalization Capacity Savings | Import Limit | Incremental Capacity Savings with current Tx | Incremental Capacity Savings Requiring Tx Upgrades
|  |  |  | % | MW | [9 empty] | % | % | % | MW | MW | MW | MW | MW | bar: 2006 CF to 2014 CF
|  |  |  | [1] | [2] | [11 empty] | [3] | [4] | [5] | [6] | [7] | [8]
California | California Independent System Operator |  | CA | 115% | 47009.5734 | 100% | 100% | 99.62% | 100% | 99.66% | 99.52% | 100% | 99.65% | 99.19% | 99.66% | 99.74% | 99.66% | 46849.3135 | 184.2989 | 982 | 184.2989 | 0
Southwest Reserve Sharing Group | PacifiCorp |  | NWPP | 113% | 13234 | 98.9% | 91.88% | 90.81% | 88.16% | 95.91% | 92.19% | 95.64% | 97.51% | 87.77% | 92.19% | 93.2% | 92.19% | 12200.751 | 1167.5714 | 776 | 776 | 391.5714
0
| Total |  |  |  | 60243.5734 | [12 empty] | 59050.0645 | 1351.8702 | 1758 | 960.2989 | 391.5714
Sources and Notes:
| [1] | Based on PacifiCorp 2014 IRP and CAISO published RM.
| [2] | Non-coincident peak load data as selected on PeakLoads tab
| [3] | Median coincidence factor from 2006-2014
| [4] | [2] * [3]
| [5] | [2] * (1 - [3]) * (1 + [1])
| [6] | Import limits as reported in E3's PacifiCorp Market Integration Study Report
| [7] | MAX([5],[6])
| [8] | [5] - [7]

## 2020 Regional ISO
[6 empty] | 1 | 2 | 3 | [11 empty] | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Multi-Year Peak Loads by Balancing Authority for 2020 Regional ISO
| Within-Subregion Geographic Indicator | Within-Subregion Geographic Indicator | Balancing Authority Area |  | WECC Subregion | BAA Planning Reserve Margin | NERC Planning Reserve Reference Level | Non-Coincident Peak Load | 2006 CF | 2007 CF | 2008 CF | 2009 CF | 2010 CF | 2011 CF | 2012 CF | 2013 CF | 2014 CF | Median CF | Average CF | Median Coincidence Factor | Share of Coincident Peak | Potential Regionalization Capacity Savings | Capacity Savings Already Captured - Within or Across Sub-Regions | Capacity Savings Already Captured | Potential Capacity Savings from Market Integration | Import Limit | Incremental Capacity Savings with current Tx | Incremental Capacity Savings Requiring Tx Upgrades
[6 empty] | % | % | MW | [9 empty] | % | % | % | MW | MW | MW | MW | MW | MW | MW | MW | bar: 2006 CF to 2014 CF
[6 empty] | [1] | [2] | [3] | [11 empty] | [4] | [5] | [6] | [7] | [8] | [9] | [10] | [11] | [12]
California | CA |  | [a] | California Independent System Operator | CA | 115% | 115% | 47009.5734 | 100% | 99.91% | 100% | 99.94% | 100% | 100% | 100% | 99.85% | 99.95% | 100% | 99.96% | 100% | 47009.5734 | 0 | 0 | 0 | 0 | 3638.6717 | 0 | 0
California | CA |  | [b] | Los Angeles Dept of Water & Power | CA | 115% | 115% | 6359.2093 | 99.31% | 98.94% | 99.9% | 99.99% | 91.84% | 95.5% | 95.52% | 92.69% | 95.9% | 95.9% | 96.62% | 95.9% | 6098.4057 | 299.9242 | 0 | 0 | 299.9242 | 3750 | 299.9242 | 0
Northwest Power Pool | WECC |  | [c] | Avista Corp | NWPP | 104% | 115.4% | 2311 | 96.04% | 88.5% | 80.56% | 80.06% | 82.97% | 85.94% | 97.95% | 89.14% | 86.8% | 86.8% | 87.55% | 86.8% | 2006.0213 | 351.9454 | 263.454 | 263.454 | 88.4914 | 150.8082 | 0 | 88.4914
Northwest Power Pool | CA |  | [d] | Balancing Authority of Northern California | NWPP | 115.4% | 115.4% | 4594.5343 | 97.4% | 98.51% | 98.17% | 93.51% | 87.12% | 83.01% | 97.6% | 98.58% | 89.97% | 97.4% | 93.76% | 97.4% | 4475.2599 | 137.6427 | 0 | 0 | 137.6427 | 0 | 0 | 137.6427
Northwest Power Pool | WECC |  | [e] | Idaho Power Co | NWPP | 115.4% | 115.4% | 4006 | 99.9% | 98.34% | 93.9% | 91.19% | 93.56% | 95.67% | 92.49% | 99.65% | 97.79% | 95.67% | 95.83% | 95.67% | 3832.3418 | 200.4016 | 0 | 0 | 200.4016 | 1695.8049 | 200.4016 | 0
Northwest Power Pool | WECC |  | [f] | Nevada Power Co | NWPP | 112% | 115.4% | 8402 | 96.92% | 100% | 98.56% | 99.31% | 93.25% | 100% | 95.54% | 99.6% | 84.8% | 98.56% | 96.44% | 98.56% | 8280.8259 | 139.8349 | 285.668 | 139.8349 | 0 | 500 | 0 | 0
Northwest Power Pool | WECC |  | [g] | Northwestern Energy | NWPP | 110% | 115.4% | 1880 | 96.88% | 94.59% | 84.58% | 79.63% | 85.9% | 92.54% | 91.77% | 97.63% | 89.2% | 91.77% | 90.3% | 91.77% | 1725.2203 | 178.6157 | 101.52 | 101.52 | 77.0957 | 460.333 | 77.0957 | 0
Northwest Power Pool | WECC |  | [h] | PacifiCorp | NWPP | 113% | 115.4% | 13234 | 99.89% | 97.17% | 99.93% | 99.81% | 98.5% | 99.55% | 97.62% | 99.89% | 99% | 99.55% | 99.04% | 99.55% | 13174.4839 | 68.6816 | 317.616 | 68.6816 | 0 | 1046.5898 | 0 | 0
Northwest Power Pool | WECC |  | [i] | Portland General Electric | NWPP | 108% | 115.4% | 3753 | 99.45% | 87.88% | 86.49% | 96.25% | 94.54% | 92.06% | 89.61% | 90.55% | 87.37% | 90.55% | 91.58% | 90.55% | 3398.5097 | 409.0818 | 277.722 | 277.722 | 131.3598 | 244.9083 | 0 | 131.3598
Northwest Power Pool | WECC |  | [j] | PUD No 1 of Chelan County | NWPP | 84% | 115.4% | 733 | 69.54% | 69.37% | 61.44% | 66.56% | 66.45% | 74.73% | 74.96% | 70.52% | 69.34% | 69.37% | 69.21% | 69.37% | 508.5168 | 259.0536 | 230.162 | 230.162 | 28.8916 | 47.8332 | 0 | 28.8916
Northwest Power Pool | WECC |  | [k] | PUD No 1 of Douglas County | NWPP | 77% | 115.4% | 393 | 64.95% | 64.54% | 55.97% | 63.23% | 58.51% | 60.8% | 66.81% | 62.22% | 64.57% | 63.23% | 62.4% | 63.23% | 248.5064 | 166.7456 | 150.912 | 150.912 | 15.8336 | 25.6459 | 0 | 15.8336
Northwest Power Pool | WECC |  | [l] | PUD No 2 of Grant County | NWPP | 115.4% | 115.4% | 855 | 97.08% | 94.78% | 94.75% | 94.43% | 96.03% | 99.06% | 98.49% | 94.06% | 96.93% | 96.03% | 96.18% | 96.03% | 821.0586 | 39.1684 | 0 | 0 | 39.1684 | 55.7945 | 39.1684 | 0
Northwest Power Pool | WECC |  | [m] | Puget Sound Energy Inc | NWPP | 83% | 115.4% | 5157 | 71.49% | 65.64% | 62.1% | 70.66% | 68.22% | 68.66% | 69.52% | 69.88% | 67.5% | 68.66% | 68.19% | 68.66% | 3541.0194 | 1864.8417 | 1670.868 | 1670.868 | 193.9737 | 336.5287 | 0 | 193.9737
Northwest Power Pool | WECC |  | [n] | Seattle City Light | NWPP | 87% | 115.4% | 1830 | 77.45% | 68.92% | 67.88% | 76.91% | 70.84% | 72.23% | 72.06% | 73.61% | 70.88% | 72.06% | 72.31% | 72.06% | 1318.7521 | 589.9801 | 519.72 | 519.72 | 70.2601 | 119.4197 | 0 | 70.2601
Northwest Power Pool | WECC |  | [o] | Tacoma Power | NWPP | 75% | 115.4% | 1031 | 66.28% | 59.55% | 58.44% | 61.79% | 60.86% | 64.01% | 64.83% | 63.49% | 60.55% | 61.79% | 62.2% | 61.79% | 637.0708 | 454.5942 | 416.524 | 416.524 | 38.0702 | 67.2796 | 0 | 38.0702
Northwest Power Pool | CA |  | [p] | Turlock Irrigation District | NWPP | 115.4% | 115.4% | 676 | 99.47% | 98.5% | 97.79% | 94.67% | 92.05% | 91.52% | 97.19% | 98.9% | 92.57% | 97.19% | 95.85% | 97.19% | 656.9892 | 21.9384 | 0 | 0 | 21.9384 | 111.3283 | 21.9384 | 0
Rocky Mountain Reserve Sharing Group | WECC |  | [q] | Public Service Co of Colorado | RMRSG | 113.9% | 113.9% | 8740 | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 8740 | 0 | 0 | 0 | 0 | 1046.455 | 0 | 0
Southwest Reserve Sharing Group | WECC |  | [r] | Arizona Public Service Co | SRSG | 115% | 116.1% | 7654 | 99.48% | 99.6% | 99.79% | 99.85% | 99.01% | 100% | 99.83% | 99.83% | 99.26% | 99.79% | 99.63% | 99.79% | 7637.7137 | 18.9083 | 84.194 | 18.9083 | 0 | 1199.1678 | 0 | 0
Southwest Reserve Sharing Group | WECC |  | [s] | El Paso Electric | SRSG | 110% | 116.1% | 1944 | 93.28% | 90.45% | 89.49% | 94.67% | 93.55% | 94.38% | 91.4% | 90.94% | 91.7% | 91.7% | 92.21% | 91.7% | 1782.7171 | 187.2494 | 118.584 | 118.584 | 68.6654 | 760.9355 | 68.6654 | 0
Southwest Reserve Sharing Group | CA |  | [t] | Imperial Irrigation District | SRSG | 116.1% | 116.1% | 1049 | 96.47% | 90.22% | 94.14% | 99.74% | 89.86% | 99.65% | 97.53% | 98.03% | 97.44% | 97.44% | 95.9% | 97.44% | 1022.1232 | 31.2039 | 0 | 0 | 31.2039 | 147.4289 | 31.2039 | 0
Southwest Reserve Sharing Group | WECC |  | [u] | Public Service Co of New Mexico | SRSG | 112% | 116.1% | 2935 | 96.43% | 96.94% | 98.25% | 93.51% | 97.99% | 89.68% | 92.97% | 89.85% | 89.76% | 93.51% | 93.93% | 93.51% | 2744.5212 | 221.1459 | 120.335 | 120.335 | 100.8109 | 1148.8404 | 100.8109 | 0
Southwest Reserve Sharing Group | WECC |  | [v] | Salt River Project | SRSG | 116.1% | 116.1% | 7431 | 99.54% | 99.36% | 99.92% | 99.36% | 99.19% | 99.75% | 99.87% | 100% | 99.93% | 99.75% | 99.66% | 99.75% | 7412.5945 | 21.3688 | 0 | 0 | 21.3688 | 961.1537 | 21.3688 | 0
Southwest Reserve Sharing Group | WECC |  | [w] | Tucson Electric Power Co | SRSG | 115% | 116.1% | 3540 | 99.1% | 97.87% | 99.56% | 98.44% | 99.54% | 98.63% | 97.77% | 98.29% | 90.35% | 98.44% | 97.73% | 98.44% | 3484.8851 | 63.9883 | 38.94 | 38.94 | 25.0483 | 457.877 | 25.0483 | 0
|  |  |  | Total Within Sub-Regions |  |  |  | 135517.3171 | [12 empty] | 130557.1102 | 5726.3146 | 4596.219 | 4136.1659 | 1590.1487 | 17972.8044 | 885.6257 | 704.523
California |  | CA |  | CA | WECC | 115% | 115% | 53107.9791 | 99.77% | 99.02% | 97.87% | 93.35% | 97.81% | 93.66% | 99.8% | 99.53% | 96.86% | 97.87% | 97.52% | 97.87% | 51974.4521 | 1303.556 |  |  | 1303.556 | 10104.5312 | 1303.556 | 0
Northwest Power Pool |  | WECC |  | NWPP | WECC | 115.4% | 115.4% | 44624.5762 | 99.85% | 93.7% | 93.91% | 99.24% | 99.11% | 99.39% | 98.87% | 96.86% | 98.55% | 98.87% | 97.72% | 98.87% | 44120.9419 | 581.194 |  |  | 581.194 | 12609.4688 | 581.194 | 0
Rocky Mountain Reserve Sharing Group |  | WECC |  | RMRSG | WECC | 113.9% | 113.9% | 8740 | 95.11% | 79.61% | 77.94% | 85.9% | 93.01% | 90.67% | 71.54% | 83.61% | 67.62% | 83.61% | 82.78% | 83.61% | 7307.9242 | 1631.1343 |  |  | 1631.1343 | 496.3187 | 496.3187 | 1134.8156
Southwest Reserve Sharing Group |  | WECC |  | SRSG | WECC | 116.1% | 116.1% | 24084.5549 | 98.31% | 97.65% | 94.7% | 99.56% | 94.06% | 99.22% | 97.22% | 96.37% | 94.34% | 97.22% | 96.83% | 97.22% | 23414.1802 | 778.305 |  |  | 778.305 | 5573.4702 | 778.305 | 0
|  |  |  | Total Across Sub-Regions |  |  |  | 130557.1102 | [12 empty] | 126817.4985 | 4294.1893 |  |  | 4294.1893 | 28783.7889 | 3159.3737 | 1134.8156
Sources and Notes:
|  |  | [1] | Based on Utility IRPs. If no source available, uses an import-adjusted Margin.
|  |  | [2] | NERC Reference Margin Level from 2015 LTRA
|  |  | [3] | Non-coincident peak load
|  |  | [4] | Median coincidence factor from 2006-2014
|  |  | [5] | [4] * [3]
|  |  | [6] | MAX( [2] x [3] x (1- [4]), 0 )
|  |  | [7] | ([2] - [1]) x [3]
|  |  | [8] | MIN([6],[7])
|  |  | [9] | [2] x (1- [4]) x [3] - [8] Note that Nevada Power Co, PacifiCorp, and APS have already achieved significant capacity savings. Some of these savings likely come from sharing across WECC subregions.
|  |  | [10] | Based on analysis using 2014 WECC LAR zonal flow limits
|  |  | [11] | MAX(MIN([10] - [8],[9]), 0) Avista, BANC, PGE, PUD No 1 of Chelan County, PUD No 1 of Douglas County, Seattle City Light, and Tacoma Power likely takes advantage of imports from other BAAs within its zone to achieve current levels of capacity savings.
|  |  | [12] | [9] - [11]

## 2030 Regional ISO
[6 empty] | 1 | 2 | 3 | [11 empty] | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Multi-Year Peak Loads by Balancing Authority for 2030 Regional ISO
| Within-Subregion Geographic Indicator | Within-Subregion Geographic Indicator | Balancing Authority Area |  | WECC Subregion | BAA Planning Reserve Margin | NERC Planning Reserve Reference Level | Non-Coincident Peak Load | 2006 CF | 2007 CF | 2008 CF | 2009 CF | 2010 CF | 2011 CF | 2012 CF | 2013 CF | 2014 CF | Median CF | Average CF | Median Coincidence Factor | Share of Coincident Peak | Potential Regionalization Capacity Savings | Capacity Savings Already Captured - Within or Across Sub-Regions | Capacity Savings Already Captured | Potential Capacity Savings from Market Integration | Import Limit | Incremental Capacity Savings with current Tx | Incremental Capacity Savings Requiring Tx Upgrades
[6 empty] | % | % | MW | [9 empty] | % | % | % | MW | MW | MW | MW | MW | MW | MW | MW | bar: 2006 CF to 2014 CF
[6 empty] | [1] | [2] | [3] | [11 empty] | [4] | [5] | [6] | [7] | [8] | [9] | [10] | [11] | [12]
California | CA |  | [a] | California Independent System Operator | CA | 115% | 115% | 43982.2198 | 100% | 99.91% | 100% | 99.94% | 100% | 100% | 100% | 99.85% | 99.95% | 100% | 99.96% | 100% | 43982.2198 | 0 | 0 | 0 | 0 | 3638.6717 | 0 | 0
California | CA |  | [b] | Los Angeles Dept of Water & Power | CA | 115% | 115% | 6435.8549 | 99.31% | 98.94% | 99.9% | 99.99% | 91.84% | 95.5% | 95.52% | 92.69% | 95.9% | 95.9% | 96.62% | 95.9% | 6171.9078 | 303.5391 | 0 | 0 | 303.5391 | 3750 | 303.5391 | 0
Northwest Power Pool | WECC |  | [c] | Avista Corp | NWPP | 104% | 115.4% | 2490.3509 | 96.04% | 88.5% | 80.56% | 80.06% | 82.97% | 85.94% | 97.95% | 89.14% | 86.8% | 86.8% | 87.55% | 86.8% | 2161.7036 | 379.259 | 283.9 | 283.9 | 95.359 | 150.8082 | 0 | 95.359
Northwest Power Pool | CA |  | [d] | Balancing Authority of Northern California | NWPP | 115.4% | 115.4% | 4843.6708 | 97.4% | 98.51% | 98.17% | 93.51% | 87.12% | 83.01% | 97.6% | 98.58% | 89.97% | 97.4% | 93.76% | 97.4% | 4717.9288 | 145.1063 | 0 | 0 | 145.1063 | 0 | 0 | 145.1063
Northwest Power Pool | WECC |  | [e] | Idaho Power Co | NWPP | 115.4% | 115.4% | 4615.5766 | 99.9% | 98.34% | 93.9% | 91.19% | 93.56% | 95.67% | 92.49% | 99.65% | 97.79% | 95.67% | 95.83% | 95.67% | 4415.4936 | 230.8959 | 0 | 0 | 230.8959 | 1695.8049 | 230.8959 | 0
Northwest Power Pool | WECC |  | [f] | Nevada Power Co | NWPP | 112% | 115.4% | 9116.5799 | 96.92% | 100% | 98.56% | 99.31% | 93.25% | 100% | 95.54% | 99.6% | 84.8% | 98.56% | 96.44% | 98.56% | 8985.1 | 151.7277 | 309.9637 | 151.7277 | 0 | 500 | 0 | 0
Northwest Power Pool | WECC |  | [g] | Northwestern Energy | NWPP | 110% | 115.4% | 2072.7 | 96.88% | 94.59% | 84.58% | 79.63% | 85.9% | 92.54% | 91.77% | 97.63% | 89.2% | 91.77% | 90.3% | 91.77% | 1902.0554 | 196.9238 | 111.9258 | 111.9258 | 84.998 | 460.333 | 84.998 | 0
Northwest Power Pool | WECC |  | [h] | PacifiCorp | NWPP | 113% | 115.4% | 13861.2616 | 99.89% | 97.17% | 99.93% | 99.81% | 98.5% | 99.55% | 97.62% | 99.89% | 99% | 99.55% | 99.04% | 99.55% | 13798.9245 | 71.937 | 332.6703 | 71.937 | 0 | 1046.5898 | 0 | 0
Northwest Power Pool | WECC |  | [i] | Portland General Electric | NWPP | 108% | 115.4% | 4273.9209 | 99.45% | 87.88% | 86.49% | 96.25% | 94.54% | 92.06% | 89.61% | 90.55% | 87.37% | 90.55% | 91.58% | 90.55% | 3870.2269 | 465.8629 | 316.2701 | 316.2701 | 149.5927 | 244.9083 | 0 | 149.5927
Northwest Power Pool | WECC |  | [j] | PUD No 1 of Chelan County | NWPP | 84% | 115.4% | 813.075 | 69.54% | 69.37% | 61.44% | 66.56% | 66.45% | 74.73% | 74.96% | 70.52% | 69.34% | 69.37% | 69.21% | 69.37% | 564.0686 | 287.3534 | 255.3056 | 255.3056 | 32.0478 | 47.8332 | 0 | 32.0478
Northwest Power Pool | WECC |  | [k] | PUD No 1 of Douglas County | NWPP | 77% | 115.4% | 499.3613 | 64.95% | 64.54% | 55.97% | 63.23% | 58.51% | 60.8% | 66.81% | 62.22% | 64.57% | 63.23% | 62.4% | 63.23% | 315.7621 | 211.8735 | 191.7547 | 191.7547 | 20.1188 | 25.6459 | 0 | 20.1188
Northwest Power Pool | WECC |  | [l] | PUD No 2 of Grant County | NWPP | 115.4% | 115.4% | 992.0947 | 97.08% | 94.78% | 94.75% | 94.43% | 96.03% | 99.06% | 98.49% | 94.06% | 96.93% | 96.03% | 96.18% | 96.03% | 952.711 | 45.4488 | 0 | 0 | 45.4488 | 55.7945 | 45.4488 | 0
Northwest Power Pool | WECC |  | [m] | Puget Sound Energy Inc | NWPP | 83% | 115.4% | 5500.5383 | 71.49% | 65.64% | 62.1% | 70.66% | 68.22% | 68.66% | 69.52% | 69.88% | 67.5% | 68.66% | 68.19% | 68.66% | 3776.9076 | 1989.0698 | 1782.1744 | 1782.1744 | 206.8954 | 336.5287 | 0 | 206.8954
Northwest Power Pool | WECC |  | [n] | Seattle City Light | NWPP | 87% | 115.4% | 1937.535 | 77.45% | 68.92% | 67.88% | 76.91% | 70.84% | 72.23% | 72.06% | 73.61% | 70.88% | 72.06% | 72.31% | 72.06% | 1396.245 | 624.6486 | 550.2599 | 550.2599 | 74.3887 | 119.4197 | 0 | 74.3887
Northwest Power Pool | WECC |  | [o] | Tacoma Power | NWPP | 75% | 115.4% | 1067.3143 | 66.28% | 59.55% | 58.44% | 61.79% | 60.86% | 64.01% | 64.83% | 63.49% | 60.55% | 61.79% | 62.2% | 61.79% | 659.51 | 470.6061 | 431.195 | 431.195 | 39.4112 | 67.2796 | 0 | 39.4112
Northwest Power Pool | CA |  | [p] | Turlock Irrigation District | NWPP | 115.4% | 115.4% | 750.4102 | 99.47% | 98.5% | 97.79% | 94.67% | 92.05% | 91.52% | 97.19% | 98.9% | 92.57% | 97.19% | 95.85% | 97.19% | 729.3069 | 24.3533 | 0 | 0 | 24.3533 | 111.3283 | 24.3533 | 0
Rocky Mountain Reserve Sharing Group | WECC |  | [q] | Public Service Co of Colorado | RMRSG | 113.9% | 113.9% | 9755.9217 | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 9755.9217 | 0 | 0 | 0 | 0 | 1046.455 | 0 | 0
Southwest Reserve Sharing Group | WECC |  | [r] | Arizona Public Service Co | SRSG | 115% | 116.1% | 9698.9099 | 99.48% | 99.6% | 99.79% | 99.85% | 99.01% | 100% | 99.83% | 99.83% | 99.26% | 99.79% | 99.63% | 99.79% | 9678.2724 | 23.9601 | 106.688 | 23.9601 | 0 | 1199.1678 | 0 | 0
Southwest Reserve Sharing Group | WECC |  | [s] | El Paso Electric | SRSG | 110% | 116.1% | 2249.1157 | 93.28% | 90.45% | 89.49% | 94.67% | 93.55% | 94.38% | 91.4% | 90.94% | 91.7% | 91.7% | 92.21% | 91.7% | 2062.5191 | 216.6387 | 137.1961 | 137.1961 | 79.4426 | 760.9355 | 79.4426 | 0
Southwest Reserve Sharing Group | CA |  | [t] | Imperial Irrigation District | SRSG | 116.1% | 116.1% | 1175.6378 | 96.47% | 90.22% | 94.14% | 99.74% | 89.86% | 99.65% | 97.53% | 98.03% | 97.44% | 97.44% | 95.9% | 97.44% | 1145.5164 | 34.9709 | 0 | 0 | 34.9709 | 147.4289 | 34.9709 | 0
Southwest Reserve Sharing Group | WECC |  | [u] | Public Service Co of New Mexico | SRSG | 112% | 116.1% | 3181.9884 | 96.43% | 96.94% | 98.25% | 93.51% | 97.99% | 89.68% | 92.97% | 89.85% | 89.76% | 93.51% | 93.93% | 93.51% | 2975.4803 | 239.756 | 130.4615 | 130.4615 | 109.2944 | 1148.8404 | 109.2944 | 0
Southwest Reserve Sharing Group | WECC |  | [v] | Salt River Project | SRSG | 116.1% | 116.1% | 9313.1155 | 99.54% | 99.36% | 99.92% | 99.36% | 99.19% | 99.75% | 99.87% | 100% | 99.93% | 99.75% | 99.66% | 99.75% | 9290.0483 | 26.781 | 0 | 0 | 26.781 | 961.1537 | 26.781 | 0
Southwest Reserve Sharing Group | WECC |  | [w] | Tucson Electric Power Co | SRSG | 115% | 116.1% | 3863.052 | 99.1% | 97.87% | 99.56% | 98.44% | 99.54% | 98.63% | 97.77% | 98.29% | 90.35% | 98.44% | 97.73% | 98.44% | 3802.9075 | 69.8278 | 42.4936 | 42.4936 | 27.3342 | 457.877 | 27.3342 | 0
|  |  |  | Total Within Sub-Regions |  |  |  | 142490.2051 | [12 empty] | 137110.7373 | 6210.5396 | 4982.2587 | 4480.5615 | 1729.9781 | 17972.8044 | 967.0583 | 762.9198
California |  | CA |  | CA | WECC | 115% | 115% | 50154.1276 | 99.77% | 99.02% | 97.87% | 93.35% | 97.81% | 93.66% | 99.8% | 99.53% | 96.86% | 97.87% | 97.52% | 97.87% | 49083.6471 | 1231.0526 |  |  | 1231.0526 | 10104.5312 | 1231.0526 | 0
Northwest Power Pool |  | WECC |  | NWPP | WECC | 115.4% | 115.4% | 48245.944 | 99.85% | 93.7% | 93.91% | 99.24% | 99.11% | 99.39% | 98.87% | 96.86% | 98.55% | 98.87% | 97.72% | 98.87% | 47701.4389 | 628.3589 |  |  | 628.3589 | 12609.4688 | 628.3589 | 0
Rocky Mountain Reserve Sharing Group |  | WECC |  | RMRSG | WECC | 113.9% | 113.9% | 9755.9217 | 95.11% | 79.61% | 77.94% | 85.9% | 93.01% | 90.67% | 71.54% | 83.61% | 67.62% | 83.61% | 82.78% | 83.61% | 8157.3841 | 1820.7344 |  |  | 1820.7344 | 496.3187 | 496.3187 | 1324.4157
Southwest Reserve Sharing Group |  | WECC |  | SRSG | WECC | 116.1% | 116.1% | 28954.7439 | 98.31% | 97.65% | 94.7% | 99.56% | 94.06% | 99.22% | 97.22% | 96.37% | 94.34% | 97.22% | 96.83% | 97.22% | 28148.8113 | 935.6877 |  |  | 935.6877 | 5573.4702 | 935.6877 | 0
|  |  |  | Total Across Sub-Regions |  |  |  | 137110.7373 | [12 empty] | 133091.2814 | 4615.8336 |  |  | 4615.8336 | 28783.7889 | 3291.4179 | 1324.4157
Sources and Notes:
|  |  | [1] | Based on Utility IRPs. If no source available, uses an import-adjusted Margin.
|  |  | [2] | NERC Reference Margin Level from 2015 LTRA
|  |  | [3] | Non-coincident peak load
|  |  | [4] | Median coincidence factor from 2006-2014
|  |  | [5] | [4] * [3]
|  |  | [6] | MAX( [2] x [3] x (1- [4]), 0 )
|  |  | [7] | ([2] - [1]) x [3]
|  |  | [8] | MIN([6],[7])
|  |  | [9] | [2] x (1- [4]) x [3] - [8] Note that Nevada Power Co, PacifiCorp, and APS have already achieved significant capacity savings. Some of these savings likely come from sharing across WECC subregions.
|  |  | [10] | Based on analysis using 2014 WECC LAR zonal flow limits
|  |  | [11] | MAX(MIN([10] - [8],[9]), 0) Avista, BANC, PGE, PUD No 1 of Chelan County, PUD No 1 of Douglas County, Seattle City Light, and Tacoma Power likely takes advantage of imports from other BAAs within its zone to achieve current levels of capacity savings.
|  |  | [12] | [9] - [11]