Settlements & Billing

Configuration Guide: Ancillary Services

Pre-calculation

Version 5.12

Table of Contents

1.	Purpose of Document	3

2.	Introduction	3

2.1	Background	3

2.2	Description	4

3.	Charge Code Requirements	4

3.1	Business Rules	4

3.2	Predecessor Charge Codes	11

3.3	Successor Charge Codes	11

3.4	Inputs – External Systems	12

3.5	Inputs - Predecessor Charge Codes or Pre-calculations	18

3.6	CAISO Formula	20

3.7	Outputs	35

# Purpose of Document

The purpose of this document is to capture the business and functional requirements for the Ancillary Services Pre-calculation.

# Introduction

## Background

The CAISO will procure the Ancillary Services, Regulation Up, Regulation Down, Spinning Reserve, and Non-Spinning Reserve in the Day Ahead Integrated Forward Market (IFM) and procure incrementally as needed in the Real-Time Market (RTM).  Ancillary Services (AS) are procured simultaneously with Energy Bids to meet Regulation and Operating Reserve requirements, using submitted Ancillary Service bids.  IFM is performed for each hour of the next Trading Day.   The Fifteen Minute Market  performs AS procurement, if needed, at 15-minutes intervals for the current hour and next Trading Hour.  The AS Pricing and Settlement will be based on Ancillary Service Marginal Price (ASMP), which are calculated for each AS region for each market time interval for each market.

The AS procurement cost is the payment for AS Awarded bids in the Day Ahead IFM, and RTM.  This Charge Code is part of the family of Charge Codes for payment to Scheduling Coordinators (SCs) for Awarded Ancillary Services Capacity bids: (1) Regulation Up, (2) Regulation Down, (3) Spinning Reserve, and (4) Non-Spinning Reserve.

The fundamental concepts of Settlement methodology for allocation of AS procurement cost to scheduling coordinators are as follows:

- The AS procurement cost allocation for all AS commodity types is hourly, system-wide, and across IFM, and Real-Time markets

- The cost of procuring the AS by the CAISO on behalf of the demand will be allocated to the demand using a system wide user rate.  The user rate is the average cost of procuring a type of AS in both the forward and Real-Time market for the whole CAISO system

- The rate for each AS incorporates the No Pay/Non Compliance Capacity and the No Pay/Non Compliance Charge to reflect the ultimate average AS cost

The rate for each AS reflects an average AS substitution to capture the cascaded AS procurement as it is performed optimally in each AS market.  For example, Settlements reflects that multiple service types are procured and substituted simultaneously during IFM optimization

A difference between total net AS Requirements and total AS Obligations resultsin a neutrality adjustment for each Scheduling Coordinator for each of the Regulation Up, Regulation Down, Spinning Reserve, and Non-Spinning Reserve AS types.

The difference between total AS Procurement and total AS Requirements over all Spinning, Non-Spinning and Regulation Up Ancillary Services results in a single Upward neutrality adjustment for all these services.

Ancillary Services awards from Intertie Resources are charged explicitly for the Marginal Cost of Congestion on the relevant inter-tie interface at the relevant Shadow Price.  The cost of AS Congestion Charges is not recovered through the AS cost allocation, but is settled in the RT Congestion Offset.

By design, the AS settlement methodology has the following property: If the total AS Procurement matches the total AS Requirements, and if the AS Requirement matches the total AS Obligation for each AS, the AS Cost Allocation is neutral.

By reflecting AS substitution in the AS Rates, this AS settlement methodology eliminates any neutrality loss due to AS substitution and results in an equitable AS Cost Allocation to Scheduling Coordinators’ that Self-Provide AS, since there is no AS substitution among Self-Provided AS.

This Pre-calculation Configuration Guide defines a set of quantities that are common to Ancillary Services Charge Codes.

## Description

The Ancillary Services Pre-Calculation calculates a set of quantities utilized as input in No Pay, Non Compliance, Ancillary Service Obligation, and Ancillary Service Neutrality Charge Codes.

# Charge Code Requirements

## Business Rules

| Bus Req ID | Business Rule |
| --- | --- |
| 1.0 | The Hourly Total Regulation Up Effective Qualified Self-Provision for each resource shall be calculated by subtracting Hourly Total Non Compliance associated with Regulation Up Qualified Self-Provision from the Hourly Total Regulation Up Qualified Self-Provision. |
| 1.1 | The Hourly Total Regulation Up Qualified Self-Provision for each resource shall be calculated as the maximum of zero or the sum of Day Ahead IFM Qualified Self-Provision and sum of (.25) of Real-Time Qualified Self-Provision for each of the four Ancillary Service intervals for the relevant Real Time hour. |
| 1.2 | The BA Hourly Total Regulation Up Effective Qualified Self-Provision for each BA shall be calculated as the summation by BA of Hourly Total Effective Regulation Up Qualified Self-Provision. |
| 1.3 | The CAISO Hourly Total Regulation Up Effective Qualified Self-Provision shall be calculated as the summation of Hourly Total Effective Regulation Up Qualified Self-Provision. |
| 2.0 | The Hourly Total Effective Regulation Down Effective Qualified Self-Provision for each resource shall be calculated by subtracting Hourly Total Non Compliance associated with Regulation Down Qualified Self-Provision from the Hourly Total Regulation Down Qualified Self-Provision. |
| 2.1 | The Hourly Total Regulation Down Qualified Self-Provision for each resource shall be calculated as the maximum of zero or the sum of Day Ahead IFM Qualified Self-Provision and sum of (.25) of Real-Time Qualified Self-Provision for each of the four Ancillary Service intervals for the relevant Real Time hour. |
| 2.2 | The BA Hourly Total Regulation Down Effective Qualified Self-Provision for each BA shall be calculated as the summation by BA of Hourly Total Effective Regulation Down Qualified Self-Provision. |
| 2.3 | The CAISO Hourly Total Regulation Down Effective Qualified Self-Provision shall be calculated as the summation of Hourly Total Effective Regulation Down Qualified Self-Provision. |
| 3.0 | The Hourly Total Effective Spinning Reserve Qualified Self-Provision for each resource shall be calculated by subtracting Hourly Total No Pay associated with Spinning Reserve Qualified Self-Provision from the Hourly Total Spinning Reserve Qualified Self-Provision. |
| 3.1 | The Hourly Total Spinning Reserve Qualified Self-Provision for each resource shall be calculated as the maximum of zero or the sum of Day Ahead IFM Qualified Self-Provision and sum of (.25) of Real-Time Qualified Self-Provision for each of the four Ancillary Service intervals for the relevant Real Time hour. |
| 3.2 | The BA Hourly Total Spinning Reserve Effective Qualified Self-Provision for each BA shall be calculated as the summation by BA of Hourly Total Effective Spinning Reserve Qualified Self-Provision. |
| 3.3 | The CAISO Hourly Total Spinning Reserve Effective Qualified Self-Provision shall be calculated as the summation of Hourly Total Effective Spinning Reserve Qualified Self-Provision. |
| 4.0 | The Hourly Total Non-Spinning Reserve Effective Qualified Self-Provision for each resource shall be calculated by subtracting the Hourly Total No Pay associated with Non-Spinning Reserve Qualified Self-Provision from the Hourly Total Non-Spinning Reserve Qualified Self-Provision. |
| 4.1 | The Hourly Total Non-Spinning Reserve Qualified Self-Provision for each resource shall be calculated as the maximum of zero or the sum of Day Ahead IFM Qualified Self-Provision and sum of (.25) of Real-Time Qualified Self-Provision for each of the four Ancillary Service intervals for the relevant Real Time hour. |
| 4.2 | The BA Hourly Total Non-Spinning Reserve Effective Qualified Self-Provision for each BA shall be calculated as the summation by BA of Hourly Total Effective Non-Spinning Reserve Qualified Self-Provision. |
| 4.3 | The CAISO Hourly Total Non-Spinning Reserve Effective Qualified Self-Provision shall be calculated as the summation of Hourly Total Effective Non-Spinning Reserve Qualified Self-Provision. |
| 5.0 | The Hourly Total Regulation Up Net Procurement for each resource shall be calculated by subtracting Hourly Total Non Compliance associated with Regulation Up Awarded Bid from the Hourly Total Regulation Up Awarded Bid Capacity. |
| 5.1 | The Hourly Total Regulation Up Awarded Bid Capacity for each resource shall be calculated as the sum of Day Ahead IFM Awarded Bid Capacity and (.25) of Real-Time Awarded Bid Capacity for each of the four Ancillary Service intervals for the relevant Real Time hour. |
| 5.2 | The BA Hourly Total Regulation Up Net Procurement for each BA shall be calculated as the summation by BA of Hourly Total Regulation Up Net Procurement. |
| 5.3 | The CAISO Hourly Total Regulation Up Net Procurement shall be calculated as the summation of Hourly Total Regulation Up Net Procurement. |
| 6.0 | The Hourly Total Regulation Down Net Procurement for each resource shall be calculated by subtracting Hourly Total Non Compliance associated with Regulation Down Awarded Bid from the Hourly Total Regulation Down Awarded Bid Capacity. |
| 6.1 | The Hourly Total Regulation Down Awarded Bid Capacity for each resource shall be calculated as the sum of Day Ahead IFM Awarded Bid Capacity and sum of (.25) of Real-Time Awarded Bid Capacity for each of the four Ancillary Service intervals for the relevant Real Time hour. |
| 6.2 | The BA Hourly Total Regulation Down Net Procurement for each BA shall be calculated as the summation by BA of Hourly Total Regulation Down Net Procurement. |
| 6.3 | The CAISO Hourly Total Regulation Down Net Procurement shall be calculated as the summation of Hourly Total Regulation Down Net Procurement. |
| 7.0 | The Hourly Total Spinning Reserve Net Procurement for each resource shall be calculated by subtracting Hourly Total No Pay associated with Spinning Reserve Awarded Bid from the Hourly Total Spinning Reserve Awarded Bid Capacity. |
| 7.1 | The Hourly Total Spinning Reserve Awarded Bid Capacity for each resource shall be calculated as the sum of Day Ahead IFM Awarded Bid Capacity and sum of (.25) of Real-Time Awarded Bid Capacity for each of the four Ancillary Service intervals for the relevant Real Time hour. |
| 7.2 | The BA Hourly Total Spinning Reserve Net Procurement for each BA shall be calculated as the summation by BA of Hourly Total Spinning Reserve Net Procurement. |
| 7.3 | The CAISO Hourly Total Spinning Reserve Net Procurement shall be calculated as the summation of Hourly Total Spinning Reserve Net Procurement. |
| 8.0 | The Hourly Total Non-Spinning Reserve Net Procurement for each resource shall be calculated by subtracting Hourly Total No Pay associated with Non-Spinning Reserve Awarded Bid from the Hourly Total Non-Spinning Reserve Awarded Bid Capacity. |
| 8.1 | The Hourly Total Non-Spinning Reserve Awarded Bid Capacity for each resource shall be calculated as the sum of Day Ahead IFM Awarded Bid Capacity and sum of (.25) of Real-Time Awarded Bid Capacity for each of the four Ancillary Service intervals for the relevant Real Time hour. |
| 8.2 | The BA Hourly Total Non-Spinning Reserve Net Procurement for each BA shall be calculated as the summation by BA of Hourly Total Non-Spinning Reserve Net Procurement. |
| 8.3 | The CAISO Hourly Total Non-Spinning Reserve Net Procurement shall be calculated as the summation of Hourly Total Non-Spinning Reserve Net Procurement. |
| 9.0 | The Hourly Total Regulation Up Net Requirement for CAISO shall be calculated by subtracting CAISO Hourly Total Effective Regulation Up Qualified Self-Provision from Total Hourly Real-Time Regulation Up Requirement, limited to be non-negative. |
| 9.1 | The Hourly Total Regulation Down Net Requirement for CAISO shall be calculated by subtracting CAISO Hourly Total Effective Regulation Down Qualified Self-Provision from Total Hourly Real-Time Regulation Down Requirement, limited to be non-negative. |
| 9.2 | The Hourly Total Spinning Reserve Net Requirement for CAISO shall be calculated by subtracting CAISO Hourly Total Effective Spinning Reserve Qualified Self-Provision from Total Hourly Real-Time Spinning Reserve Requirement, limited to be non-negative. |
| 9.3 | The Hourly Total Non-Spinning Reserve Net Requirement for CAISO shall be calculated by subtracting CAISO Hourly Total Effective Non-Spinning Reserve Qualified Self-Provision from Total Hourly Real-Time Non-Spinning Reserve Requirement, limited to be non-negative. |
| 10.0 | The Net Requirement Scale Factor shall be calculated as the ratio of sum of Hourly total Regulation Up, Spinning Reserve, and Non-Spinning Reserve Net Procurement MW values over the sum of Hourly total Regulation Up, Spinning Reserve, and Non-Spinning Reserve Net Requirements. |
| 10.1 | The Scaled Hourly Total Regulation Up Net Requirement shall be calculated as the product of Net Requirement Scale Factor and Hourly Total Regulation Up Net Requirement. |
| 10.2 | The Scaled Hourly Total Spinning Reserve Net Requirement shall be calculated as the product of Net Requirement Scale Factor and Hourly Total Spinning Reserve Net Requirement. |
| 10.3 | The Scaled Hourly Total Non-Spinning Reserve Net Requirement shall be calculated as the product of Net Requirement Scale Factor and Hourly Total Non-Spinning Reserve Net Requirement. |
| 11.0 | The BA Hourly Total Metered Load for each BA shall be calculated as the summation by BA of Hourly metered Demand. |
| 11.1 | The CAISO Hourly Total Metered Load shall be calculated as the summation of Hourly Total metered Demand. |
| 12.0 | The Regulation Up Obligation MW for each Business Associate shall be calculated by adding (a) product of Regulation Up to Load Obligation ratio for the hour and the BA Hourly Total metered Demand (b) BA Hourly Total Regulation Up trade MW. |
| 12.1 | The Regulation Up Obligation MW with no trade adjustment for each Business Associate shall be calculated as the product of Regulation Up to Load Obligation ratio for the hour and the BA Hourly Total metered Demand. The Regulation Up Obligation MW with no trade adjustment will be used in allocation of Neutrality charges. |
| 12.2 | Regulation Up to Load Obligation ratio for the hour shall be calculated by dividing the Total Regulation Up Requirement for the hour by CAISO Hourly Total metered Demand. |
| 12.3 | The Regulation Down Obligation MW for each Business Associate shall be calculated by adding (a) product of Regulation Down to Load Obligation ratio for the hour and the BA Hourly Total metered Demand (b) BA Hourly Total Regulation down trade MW. |
| 12.4 | The Regulation Down Obligation MW with no trade adjustment for each Business Associate shall be calculated as the product of Regulation Down to Load Obligation ratio for the hour and the BA Hourly Total metered Demand. The Regulation Down Obligation MW with no trade adjustment will be used in allocation of Neutrality charges. |
| 12.5 | Regulation Down to Load Obligation ratio for the hour shall be calculated by dividing the Total Regulation Down Requirement for the hour by CAISO Hourly Total metered Demand. |
| 12.6 | The Operating Reserve Obligation MW for each Business Associate shall be calculated by adding the following components: Product of the Operating Reserve Obligation Ratio for demand and BA Hourly Total metered Demand. Plus the product of Operating Reserve Obligation percentage ratio for Import and (BA Hourly total Import and BA Hourly Dynamic Import). Plus the product of Operating Reserve Obligation percentage Intertie ratio for and BA Hourly total Dynamic ). Plus the product of Operating Reserve Obligation percentage ratio for EIM Transfer and BA Hourly total EIM Transfer. |
| 12.6.1 | BA Hourly Dynamic Import is calculated as the total Dynamic Resource Import Quantity in which the CAISO is not the responsible Balancing Authority Area for carrying the contingency reserve. |
| 12.7 | The Spinning Reserve Obligation MW for each Business Associate shall be calculated by adding (a) product of the Adjusted Operating Reserve Obligation MW and the Real-Time Spinning Reserve to Operating Reserve Ratio (b) BA Hourly Total Spinning Reserve trade MW. |
| 12.8 | The Spinning Reserve Obligation MW with no trade adjustment for each Business Associate shall be calculated as the product of the Adjusted Operating Reserve Obligation MW and the Real-Time Spinning Reserve to Operating Reserve Ratio. The Spinning Reserve Obligation MW with no trade adjustment will be used in allocation of Neutrality charges in CC 6196. |
| 12.9 | The Non-Spinning Reserve Obligation MW for each Business Associate shall be calculated by adding (a) product of the Adjusted Operating Reserve Obligation MW and the Real-Time Non-Spinning Reserve to Operating Reserve Ratio (b) BA Hourly Total Non-Spinning Reserve trade MW. |
| 12.10 | The Non-Spinning Reserve Obligation MW with no trade adjustment for each Business Associate shall be calculated as the product of the Adjusted Operating Reserve Obligation MW and the Real-Time Non-Spinning Reserve to Operating Reserve Ratio. The Non-Spinning Reserve Obligation MW with no trade adjustment will be used in allocation of Neutrality charges in CC 6296. |
| 13.0 | Ancillary Service Capacity which has been disqualified between Day-Ahead Market and Real Time Market will subject to No Pay rescission rules. |
| 13.1 | Payments for Ancillary Service Capacity disqualified between Day-Ahead Maket and Real-Time Market based upon resource constraints shall be rescinded |
| 13.2 | Payments for Ancillary Service Capacity disqualified between Day-Ahead Maket and Real-Time Market based upon transmission constraints shall not be rescinded |
| 13.3 | The rescission of disqualified Ancillary Service Capacity shall be applied to Ancillary Service Awards and then Ancillary Service Self-Provision Capacity. |
| 14.1 | Ancillary Service Obligation (Spin, Non-Spin, Regulation) will be calculated based upon Gross Load only. |
| 15.0 | Advisory prices and quantities from Day Ahead NPM resources Ancillary Services: Spin, Non-Spin, Regulation will be computed in this charge code. |
| 16 | EDAM Requirements: EDAM entities have AS Self Provision (QSP) and AS Requirement. EDAM resources cannot bid in for Ancillary Services EDAM BAA resources cannot provide Ancillary Service for CISO BAA EDAM AS Self Provision (QSP) is not assessed No Pay |
| 16.1 | EDAM Requirements: This PC will receive Ancillary Service Awarded Bid quantities of zero and Ancillary Service Capacity Schedules of non-zero. They will be filtered out in equations. EDAM BAA Ancillary Service Self-provision and requirements are simply information at this point. |

## Predecessor Charge Codes

Charge Code/ Pre-calc Name

MSS Netting Pre-calculation

System Resource Deemed Delivered Energy Pre-calculation

Spin and NonSpin No Pay Quantity Pre-Calculation

Regulation No Pay Quantity Pre-Calculation

## Successor Charge Codes

Charge Code/ Pre-calc Name

Real Time Energy Quantity Pre-calculation

No Pay Spinning Reserve Settlement (CC 6124)

No Pay Non-Spinning Reserve Settlement (CC 6224)

Non Compliance Regulation Up Settlement (CC 6524)

Non Compliance Regulation Down Settlement (CC 6624)

Spinning Reserve Obligation Settlement (CC 6194)

Non-Spinning Reserve Obligation Settlement (CC 6294)

Regulation Up Obligation Settlement (CC 6594)

Regulation Down Obligation Settlement (CC 6694)

Spinning Reserve Neutrality Allocation (CC 6196)

Non-Spinning Reserve Neutrality Allocation (CC 6296)

Regulation Up Neutrality Allocation (CC 6596)

Regulation Down Neutrality Allocation (CC 6696)

Upward Ancillary Services Neutrality Allocation (CC 6090)

ETC,TOR,CVR Quantity Pre-Calc

Day-Ahead Congestion – AS Spinning Reserve Import Settlement (CC 6710)

Day-Ahead Congestion – AS Non-Spinning Reserve Import Settlement (CC 6720)

Day-Ahead Congestion – AS Regulation Up Import Settlement (CC 6750)

Day-Ahead Congestion – AS Regulation Down Import Settlement (CC 6760)

Real-Time Congestion – AS Spinning Reserve Import Settlement (CC 6715)

Real-Time Congestion – AS Non-Spinning Reserve Import Settlement (CC 6725)

Real-Time Congestion – AS Regulation Up Import Settlement (CC 6755)

Real-Time Congestion – AS Regulation Down Import Settlement (CC 6765)

GMC Market Services Charge (CC 4560)

Spin and NonSpin No Pay Quantity Pre-Calculation

Regulation No Pay Quantity Pre-Calculation

Day-Ahead Spinning Reserve Capacity Settlement (CC 6100)

Real Time Spinning Reserve Capacity Settlement (CC 6170)

Day-Ahead Non-Spinning Reserve Capacity Settlement (CC 6200)

Real Time Non-Spinning Reserve Capacity Settlement (CC 6270)

Day-Ahead Regulation Up Capacity Settlement (CC 6500)

Real Time Regulation Up Capacity Settlement (CC 6570)

Day-Ahead Regulation Down Capacity Settlement (CC 6600)

Real Time Regulation Down Capacity Settlement (CC 6670)

## Inputs – External Systems

| Row # | Variable Name | Description |
| --- | --- | --- |
|  | DARegUpQSP BrtT’uI’Q’M’R’W’F’S’Nz’VL'mdh | Day Ahead Regulation Up Qualified Self-Provision capacity for resource r, Contract Reference Number N, and Contract Type z’. (MW) |
|  | TotalRTRegUpQSP BrtT’uI’Q’M’R’W’F’S’Nz’VL'mdhc | Real-Time Regulation Up Qualified Self-Provision capacity for resource r, Contract Reference Number N, Contract Type z’. (MW). |
|  | DARegDownQSP BrtT’uI’Q’M’R’W’F’S’Nz’VL'mdh | Day Ahead Regulation Down Qualified Self-Provision capacity for resource r, Contract Reference Number N, Contract Type z’. (MW) |
|  | TotalRTRegDownQSP BrtT’uI’Q’M’R’W’F’S’Nz’VL'mdhc | Real-Time Regulation Down Qualified Self-Provision capacity for resource r, Contract Reference Number N, Contract Type z’ (MW). |
|  | DASpinQSP BrtT’uI’Q’M’R’W’F’S’Nz’VL'mdh | Day Ahead Spinning Reserve Qualified Self-Provision capacity for resource r, Contract Reference Number N, Contract Type z’. (MW) |
|  | TotalRTSpinQSP BrtT’uI’Q’M’R’W’F’S’Nz’VL'mdhc | Real-Time Spinning Reserve Qualified Self-Provision capacity for resource r, Contract Reference Number N, Contract Type z’ (MW). |
|  | DANonSpinQSP BrtT’uI’Q’M’R’W’F’S’Nz’VL'mdh | Day Ahead Non-Spinning Reserve Qualified Self-Provision capacity for resource r, Contract Reference Number N, Contract Type z’. (MW) |
|  | TotalRTNonSpinQSP BrtT’uI’Q’M’R’W’F’S’Nz’VL'mdhc | Real-Time Non-Spinning Reserve Qualified Self-Provision capacity for resource r, Contract Reference Number N, Contract Type z’. (MW) |
|  | DARegUpAwardedBidQuantity BrtuT’I’Q’M’VL’W’R’F’S’mdh | Day Ahead Regulation Up Awarded Bid capacity for resource r. (MW) |
|  | NPMDARegUpAwardedBidQuantity BrtuT’I’M’VL’W’R’F’S’mdh | Nodal Pricing Model Day Ahead Regulation Up Awarded Bid capacity for resource r. (MW) |
|  | 15MinuteRTMRegUpAwardedBidQuantity BrtuT’I’Q’M’VL’W’R’F’S’mdhc | Real-Time Regulation Up Awarded Bid capacity for resource r (MW). |
|  | DARegDownAwardedBidQuantity BrtuT’I’Q’M’VL’W’R’F’S’mdh | Day Ahead Regulation Down Awarded Bid capacity for resource r. (MW) |
|  | NPMDARegDownAwardedBidQuantity BrtuT’I’M’VL’W’R’F’S’mdh | Nodal Pricing Model Day Ahead Regulation Down Awarded Bid capacity for resource r. (MW) |
|  | 15MinuteRTMRegDownAwardedBidQuantity BrtuT’I’Q’M’VL’W’R’F’S’mdhc | Real-Time Regulation Down Awarded Bid capacity for resource r. (MW) |
|  | DASpinAwardedBidQuantity BrtuT’I’Q’M’VL’W’R’F’S’mdh | Day Ahead Spinning Reserve Awarded Bid capacity for resource r (MW) |
|  | NPMDAHourlySpinAwardedBidQuantity BrtuT’I’M’VL’W’R’F’S’mdh | Nodal Pricing Model Day Ahead Spinning Reserve Awarded Bid capacity for resource r (MW) |
|  | 15MinuteRTMSpinAwardedBidQuantity BrtuT’I’Q’M’VL’W’R’F’S’mdhc | Real-Time Spinning Reserve Awarded Bid capacity for resource r (MW) |
|  | DANonSpinAwardedBidQuantity BrtuT’I’Q’M’VL’W’R’F’S’mdh | Day Ahead Non-Spinning Reserve Awarded Bid capacity for resource r. (MW) |
|  | NPMDANonSpinAwardedBidQuantity BrtuT’I’M’VL’W’R’F’S’mdh | Nodal Pricing Model Day Ahead Non-Spinning Reserve Awarded Bid capacity for resource r. (MW) |
|  | 15MinuteRTMNonSpinAwardedBidQuantity BrtuT’I’Q’M’VL’W’R’F’S’mdhc | Real-Time Non-Spinning Reserve associated with Awarded Bid capacity for resource r. (MW) |
|  | RegUpFromTradeMW Bsmdh | Regulation Up (inter-SC) Trade MW Quantity sold by Business Associate B, Inter-SC Trade s (MW) |
|  | RegUpToTradeMW Bsmdh | Regulation Up (inter-SC) Trade MW Quantity bought by Business Associate B, Inter-SC Trade (MW) |
|  | RegDownFromTradeMW Bsmdh | Regulation Down (inter-SC) Trade MW Quantity sold by Business Associate B, Inter-SC Trade (MW) |
|  | RegDownToTradeMW Bsmdh | Regulation Down (inter-SC) Trade MW Quantity bought by Business Associate B, Inter-SC Trade (MW) |
|  | SpinFromTradeMW Bsmdh | Spinning Reserve (inter-SC) Trade MW Quantity sold by Business Associate B, Inter-SC Trade (MW) |
|  | SpinToTradeMW Bsmdh | Spinning Reserve (inter-SC) Trade MW Quantity bought by Business Associate B, Inter-SC Trade (MW) |
|  | NonSpinFromTradeMW Bsmdh | Non-Spinning Reserve (inter-SC) Trade MW Quantity sold by Business Associate B, Inter-SC Trade (MW) |
|  | NonSpinToTradeMW Bsmdh | Non-Spinning Reserve (inter-SC) Trade MW Quantity bought by Business Associate B, Inter-SC Trade (MW) |
|  | OperReserveObligDemandRatio | Operating Reserve Obligation percentage ratio for non hydro demand (%) This is standing data. Default Value = 6% |
|  | OperReserveObligIntertieRatio | Operating Reserve Obligation percentage ratio for Intertie (%) This is standing data. Default Value = 3% |
|  | AncillaryServicesQSPCONGCreditFLAG | Flag to determine if Congestion Credit is to apply for QSP for a resource, where “1” represents that Congestion Credit should be applied. |
|  | CAISORTNonSpinReq Q’mdhc | Total Real-Time Non-Spinning Reserve Requirement (MWh) |
|  | CAISORTSpinReq Q’mdhc | Total Real-Time Spinning Reserve Requirement (MWh) |
|  | CAISORTRegUpReq Q’mdhc | CAISO Real-Time Regulation Up Requirement (MWh) |
|  | CAISORTRegDownReq Q’mdhc | CAISO Real-Time Regulation Down Requirement (MWh) |
|  | CAISODASpinReq Q’mdh | Total Day Ahead Spinning Reserve Requirement (MWh) |
|  | CAISODANonSpinReq Q’mdh | Total Day Ahead Non-Spinning Reserve Requirement (MWh) |
|  | CAISODARegUpReq Q’mdh | CAISO Day Ahead Regulation Up Requirement (MWh) |
|  | CAISODARegDownReq Q’mdh | CAISO Day Ahead Regulation Down Requirement (MWh) |
|  | NPMDASpinReq Q’mdh | Nodal Pricing Model Total Day Ahead Spinning Reserve Requirement (MWh) |
|  | NPMDANonSpinReq Q’mdh | Nodal Pricing Model Total Day Ahead Non-Spinning Reserve Requirement (MWh) |
|  | NPMDARegUpReq Q’mdh | Nodal Pricing Model Day Ahead Regulation Up Requirement (MWh) |
|  | NPMDARegDownReq Q’mdh | Nodal Pricing Model Day Ahead Regulation Down Requirement (MWh) |
|  | 15MRegUpResConstraintFlag Brtmdhc | 15 Minute Regulation Up Resource Constraint Flag by resource id r. Value of “1” represents that the resource had Regulation Up Capacity Disqualified due to a Transmission Constraint |
|  | 15MRegDownResConstraintFlag Brtmdhc | 15 Minute Regulation Down Resource Constraint Flag by resource id r. Value of “1” represents that the resource had Regulation Down Capacity Disqualified due to a Transmission Constraint |
|  | 15MSpinResConstraintFlag Brtmdhc | 15 Minute Spinning Reserve Resource Constraint Flag by resource id r. Value of “1” represents that the resource had Spinning Reserve Capacity Disqualified due to a Transmission Constraint |
|  | 15MNonSpinResConstraintFlag Brtmdhc | 15 Minute Non-Spinning Reserve Resource Constraint Flag by resource id r. Value of “1” represents that the resource had Non-Spinning Reserve Capacity Disqualified due to a Transmission Constraint |
|  | BAResourceDynamicASObligationFlag Brt | Dynamic Resource Ancillary Service Obligation Flag 1 = Dynamic Resource shall be included in Ancillary Service Obligation 0 = Dynamic Resource shall be excluded from Ancillary Service Obligation Factor Data Note: This flag value has a value 1 for Dynamic Import, or Static “AS Tie Gen” Import resources, for which CAISO procures AS. In these cases, the SC’s portfolio will not get a 3% credit for AS obligation. |
|  | BA5MEIMTransferToTaggedQty BrtQ’AA’pF’S’Qmdhcif | The Final Tagged To Quantity for EIM Transfer Resources |
|  | BA5MEIMTransferFromTaggedQty BrtQ’AA’pF’S’Qmdhcif | The Final Tagged From Quantity for EIM Transfer Resources |
|  | NPMDARegUpCapacityASMP rtQ’mdh | Nodal Pricing Model Day Ahead Regulation Up Ancillary Service Marginal Price (ASMP) for the resource r for Trading Day d and Trading Hour h ($/MW) |
|  | NPMDASpinCapacityASMP rtQ’mdh | Nodal Pricing Model Day Ahead Spinning Reserve Ancillary Service Marginal Price (ASMP) for the resource r for Trading Day d and Trading Hour h ($/MW) |
|  | NPMDANonSpinCapacityASMP rtQ’mdh | Nodal Pricing Model Day Ahead Non Spinning Reserve Ancillary Service Marginal Price (ASMP) for the resource r for Trading Day d and Trading Hour h ($/MW) |
|  | NPMDARegDownCapacityASMP rtQ’mdh | Nodal Pricing Model Day Ahead Regulation Down Ancillary Service Marginal Price (ASMP) for the resource r for Trading Day d and Trading Hour h ($/MW) |

## Inputs - Predecessor Charge Codes or Pre-calculations

| Input Req ID | Variable Name | Predecessor Charge Code/ Pre-calc Configuration |
| --- | --- | --- |
|  | BAHourlyInterchangeDeemedDeliveredEnergyQuantity BrtEuT’I’Q’M’AA’F’R’pPW’QS’d’Nz’OVvHn’L’mdh | System Resource Deemed Delivered Energy Pre-calculation Note: only attributes necessary for this charge code are used. |
|  | BASettlementIntervalResCAISOMeteredGenerationQuantity BrtuT’I’Q’M’AA’R’pPW’Qd’Nz’VvHn’L’mdhcif | MSS Netting Pre-calculation Note: only attributes necessary for this charge code are used. |
|  | BAResourceNoPaySpinAwardQuantity BrtT’uI’Q’M’R’W’F’S’VL'mdhcif | Spin and NonSpin No Pay Quantity Pre-Calculation |
|  | BAResourceNoPaySpinSelfProvisionQuantity BrtT’uI’Q’M’R’W’F’S’VL'mdhcif | Spin and NonSpin No Pay Quantity Pre-Calculation |
|  | BAResourceNoPayNonSpinSelfProvisionQuantity BrtT’uI’Q’M’R’W’F’S’VL'mdhcif | Spin and NonSpin No Pay Quantity Pre-Calculation |
|  | BAResourceNoPayNonSpinAwardQuantity BrtT’uI’Q’M’R’W’F’S’VL'mdhcif | Spin and NonSpin No Pay Quantity Pre-Calculation |
|  | HourlyTotalNoPayRegDownQSP BrtT’uI’Q’M’R’W’F’S’VL'mdh | Regulation No Pay Quantity Pre-Calculation |
|  | HourlyTotalNoPayRegDownBid BrtT’uI’Q’M’R’W’F’S’VL'mdh | Regulation No Pay Quantity Pre-Calculation |
|  | HourlyTotalNoPayRegUpBid BrtT’uI’Q’M’R’W’F’S’VL'mdh | Regulation No Pay Quantity Pre-Calculation |
|  | HourlyTotalNoPayRegUpQSP BrtT’uI’Q’M’R’W’F’S’VL'mdh | Regulation No Pay Quantity Pre-Calculation |
|  | BAResSettlementIntervalGrossMeteredCAISODemandQuantity BrtuT’I’Q’M’AA’R’pPW’Qd’Nz’VvHn’L’mdhcif | MSS Netting Pre-calculation |

## CAISO Formula

### Hourly Total Import Congestion Awarded Bid Capacity (RegUp, RegDown, Spin, NonSpin)

#### Where Resource Type (t) = ‘ITIE’

DARegUpAward BrtQ’F’S’mdh = DARegUpAwardedBidQuantity BrtuT’I’Q’M’VL’W’R’F’S’mdh

#### Where Resource Type (t) = ‘ITIE’

DARegDownAward BrtQ’F’S’mdh =  DARegDownAwardedBidQuantity BrtuT’I’Q’M’VL’W’R’F’S’mdh

#### Where Resource Type (t) = ‘ITIE’

#### DASpinAward BrtQ’F’S’mdh = DASpinAwardedBidQuantity BrtuT’I’Q’M’VL’W’R’F’S’mdh

#### Where Resource Type (t) = ‘ITIE’

DANonSpinAward BrtQ’F’S’mdh = DANonSpinAwardedBidQuantity BrtuT’I’Q’M’VL’W’R’F’S’mdh

#### Where Resource Type (t) = ‘ITIE’

RTRegDownAward BrtQ’F’S’mdhc =  15MinuteRTMRegDownAwardedBidQuantity BrtuT’I’Q’M’VL’W’R’F’S’mdhc

#### Where Resource Type (t) = ‘ITIE’

RTRegUpAward BrtQ’F’S’mdhc =  15MinuteRTMRegUpAwardedBidQuantity BrtuT’I’Q’M’VL’W’R’F’S’mdhc

#### Where Resource Type (t) = ‘ITIE’

RTSpinAward BrtQ’F’S’mdhc =    15MinuteRTMSpinAwardedBidQuantity BrtuT’I’Q’M’VL’W’R’F’S’mdhc

#### Where Resource Type (t) = ‘ITIE’

#### RTNonSpinAward BrtQ’F’S’mdhc =   15MinuteRTMNonSpinAwardedBidQuantity BrtuT’I’Q’M’VL’W’R’F’S’mdhc

#### Where Resource Type (t) = ‘ITIE’

#### DARegUpImportQSP BrtF’S’Nz’mdh =  SUM(T’,u,I’,M’,Q’,V,L’,W’,R’) DARegUpQSP BrtT’uI’Q’M’R’W’F’S’Nz’VL'mdh

#### Where Resource Type (t) = ‘ITIE’

DARegDownImportQSP BrtF’S’Nz’mdh =  SUM(T’,u,I’,M’,Q’,V,L’,W’,R’) DARegDownQSP BrtT’uI’Q’M’R’W’F’S’Nz’VL'mdh

#### Where Resource Type (t) = ‘ITIE’

DASpinImportQSP BrtF’S’Nz’mdh =  SUM(T’,u,I’,M’,Q’,V,L’,W’,R’) DASpinQSP BrtT’uI’Q’M’R’W’F’S’Nz’VL'mdh

#### Where Resource Type (t) = ‘ITIE’

DANonSpinImportQSP BrtF’S’Nz’mdh =  SUM(T’,u,I’,M’,Q’,V,L’,W’,R’) DANonSpinQSP BrtT’uI’Q’M’R’W’F’S’Nz’VL'mdh

#### Where Resource Type (t) = ‘ITIE’

RTRegUpImportQSP BrtF’S’Nz’mdh =  SUM(T’,u,I’,M’,Q’,V,L’,W’,R’) HourlyRTRegUpQSP BrtT’uI’Q’M’R’W’F’S’Nz’VL'mdh

#### Where Resource Type (t) = ‘ITIE’

#### RTRegDownImportQSP BrtF’S’Nz’mdh =  SUM(T’,u,I’,M’,Q’,V,L’,W’,R’) HourlyRTRegDownQSP BrtT’uI’Q’M’R’W’F’S’Nz’VL'mdh

#### Where Resource Type (t) = ‘ITIE’

RTNonSpinImportQSP BrtF’S’Nz’mdh =  SUM(T’,u,I’,M’,Q’,V,L’,W’,R’) HourlyRTNonSpinQSP BrtT’uI’Q’M’R’W’F’S’Nz’VL'mdh

#### Where Resource Type (t) = ‘ITIE’

RTSpinImportQSP BrtF’S’Nz’mdh =  SUM(T’,u,I’,M’,Q’,V,L’,W’,R’) HourlyRTSpinQSP BrtT’uI’Q’M’R’W’F’S’Nz’VL'mdh

### ANCILLARY SERVICES SETTLEMENT

REGUP:

RTRegUpQSP

RTRegUpQSP BrtT’uI’Q’M’R’W’F’S’Nz’VL'mdh =   (.25 *  TotalRTRegUpQSP BrtT’uI’Q’M’R’W’F’S’Nz’VL'mdhc)

HourlyRTRegUpResConstraintDisqualifiedQuantity

HourlyRTRegUpResConstraintDisqualifiedQuantity BrtQ’F’S’mdh =   (.25 * 15MRTRegUpResConstraintDisqualifiedQuantity BrtQ’F’S’mdhc)

15MRTRegUpResConstraintDisqualifiedQuantity

IF

15MRegUpResConstraintFlag Brtmdhc = 1

THEN

15MRTRegUpResConstraintDisqualifiedQuantity BrtQ’F’S’mdhc = 0

ELSE

15MRTRegUpResConstraintDisqualifiedQuantity BrtQ’F’S’mdhc = abs (15MRTRegUpDisqualifiedQuantity BrtQ’F’S’mdhc)

15MRTRegUpDisqualifiedQuantity

15MRTRegUpDisqualifiedQuantity BrtQ’F’S’mdhc = (min ((TotalRTRegUpQSP BrtT’uI’Q’M’R’W’F’S’Nz’VL'mdhc  – (DARegUpAwardedBidQuantity BrtuT’I’Q’M’VL’W’R’F’S’mdh + DARegUpQSP BrtT’uI’Q’M’R’W’F’S’Nz’VL'mdh)),0))

Where Q’ = CISO

Note: The DAAwardedRegUpBidCapacity + DARegUpQSP will be converted to MWs per Ancillary Service interval through use of special function

HourlyRTRegUpQSP

HourlyRTRegUpQSP BrtT’uI’Q’M’R’W’F’S’Nz’VL'mdh = max (0,( RTRegUpQSP BrtT’uI’Q’M’R’W’F’S’Nz’VL'mdh – (DARegUpAwardedBidQuantity BrtuT’I’Q’M’VL’W’R’F’S’mdh + DARegUpQSP BrtT’uI’Q’M’R’W’F’S’Nz’VL'mdh))

HourlyTotalRegUpEQSP

HourlyTotalRegUpEQSP Brtmdh =  SUM(T’,u,I’,Q’,M’,R’,W’,F’,S’,V,L’) max((HourlyTotalRegUpQSP BrtT’uI’Q’M’R’W’F’S’VL'mdh - HourlyTotalNoPayRegUpQSP BrtT’uI’Q’M’R’W’F’S’VL'mdh ),0)

##### HourlyTotalRegUpQSP

HourlyTotalRegUpQSP BrtT’uI’Q’M’R’W’F’S’VL'mdh = ( Max( 0,  DARegUpQSP BrtT’uI’Q’M’R’W’F’S’Nz’VL'mdh + HourlyRTRegUpQSP BrtT’uI’Q’M’R’W’F’S’Nz’VL'mdh)

Where Q’ = CISO

#### BAHourlyTotalRegUpEQSP

BAHourlyTotalRegUpEQSP Bmdh =   HourlyTotalRegUpEQSP Brtmdh

#### CAISOHourlyTotalRegUpEQSP

CAISOHourlyTotalRegUpEQSP mdh = HourlyTotalRegUpEQSP Brtmdh

REGDOWN:

HourlyRTRegDownResConstraintDisqualifiedQuantity

HourlyRTRegDownResConstraintDisqualifiedQuantity BrtQ’F’S’mdh =   (.25 * 15MRTRegDownResConstraintDisqualifiedQuantity BrtQ’F’S’mdhc)

15MRTRegDownResConstraintDisqualifiedQuantity

IF

15MRegDownResConstraintFlag Brtmdhc = 1

THEN

15MRTRegDownResConstraintDisqualifiedQuantity BrtQ’F’S’mdhc = 0

ELSE

15MRTRegDownResConstraintDisqualifiedQuantity BrtQ’F’S’mdhc = abs (15MRTRegDownDisqualifiedQuantity BrtQ’F’S’mdhc)

15MRTRegDownDisqualifiedQuantity

15MRTRegDownDisqualifiedQuantity BrtQ’F’S’mdhc =  (min ((TotalRTRegDownQSP BrtT’uI’Q’M’R’W’F’S’Nz’VL'mdhc  – (DARegDownAwardedBidQuantity BrtuT’I’Q’M’VL’W’R’F’S’mdh + DARegDownQSP BrtT’uI’Q’M’R’W’F’S’Nz’VL'mdh  )),0))

Where Q’ = CISO

Note: The DAAwardedRegDownBidCapacity + DARegDownQSP will be converted to MWs per Ancillary Service interval through use of special function

#### HourlyRTRegDownQSP

### HourlyRTRegDownQSP BrtT’uI’Q’M’R’W’F’S’Nz’VL'mdh = max (0, (RTRegDownQSP BrtT’uI’Q’M’R’W’F’S’Nz’VL'mdh – (DARegDownAwardedBidQuantity BrtuT’I’Q’M’VL’W’R’F’S’mdh + DARegDownQSP BrtT’uI’Q’M’R’W’F’S’Nz’VL'mdh )))

#### RTRegDownQSP

### RTRegDownQSP BrtT’uI’Q’M’R’W’F’S’Nz’VL'mdh =   (.25 * TotalRTRegDownQSP BrtT’uI’Q’M’R’W’F’S’Nz’VL'mdhc )

#### HourlyTotalRegDownEQSP

HourlyTotalRegDownEQSP Brtmdh =  SUM(T’,u,I’,Q’,M’,R’,W’,F’,S’,V,L’) max((HourlyTotalRegDownQSP BrtT’uI’Q’M’R’W’F’S’VL'mdh - HourlyTotalNoPayRegDownQSP BrtT’uI’Q’M’R’W’F’S’VL'mdh ),0)

#### HourlyTotalRegDownQSP

HourlyTotalRegDownQSP BrtT’uI’Q’M’R’W’F’S’VL'mdh =  (Max( 0, DARegDownQSP BrtT’uI’Q’M’R’W’F’S’Nz’VL'mdh + HourlyRTRegDownQSP BrtT’uI’Q’M’R’W’F’S’Nz’VL'mdh))

Where Q’ = CISO

#### BAHourlyTotalRegDownEQSP

BAHourlyTotalRegDownEQSP Bmdh =   HourlyTotalRegDownEQSP Brtmdh

#### CAISOHourlyTotalRegDownEQSP

CAISOHourlyTotalRegDownEQSP mdh = HourlyTotalRegDownEQSP Brtmdh

### SPIN:

HourlyRTSpinResConstraintDisqualifiedQuantity

HourlyRTSpinResConstraintDisqualifiedQuantity BrtQ’F’S’mdh=   (.25 * 15MRTSpinResConstraintDisqualifiedQuantity BrtQ’F’S’mdhc

15MRTSpinResConstraintDisqualifiedQuantity

IF

15MSpinResConstraintFlag Brtmdhc = 1

THEN

15MRTSpinResConstraintDisqualifiedQuantity BrtQ’F’S’mdhc = 0

ELSE

15MRTSpinResConstraintDisqualifiedQuantity BrtQ’F’S’mdhc = abs (15MRTSpinDisqualifiedQuantity BrtQ’F’S’mdhc)

15MRTSpinDisqualifiedQuantity

15MRTSpinDisqualifiedQuantity BrtQ’F’S’mdhc =  (min ((TotalRTSpinQSP BrtT’uI’Q’M’R’W’F’S’Nz’VL'mdhc – (DASpinAwardedBidQuantity BrtuT’I’Q’M’VL’W’R’F’S’mdh + DASpinQSP BrtT’uI’Q’M’R’W’F’S’Nz’VL'mdh)), 0))

Where Q’ = CISO

Note: The DAAwardedSpinBidCapacity + DASpinQSP will be converted to MWs per Ancillary Service interval through use of special function

#### HourlyRTSpinQSP

HourlyRTSpinQSP BrtT’uI’Q’M’R’W’F’S’Nz’VL'mdh = max( 0, (RTSpinQSP BrtT’uI’Q’M’R’W’F’S’Nz’VL'mdh – (DASpinAwardedBidQuantity BrtuT’I’Q’M’VL’W’R’F’S’mdh + DASpinQSP BrtT’uI’Q’M’R’W’F’S’Nz’VL'mdh )))

#### RTSpinQSP

### RTSpinQSP BrtT’uI’Q’M’R’W’F’S’Nz’VL'mdh =  ( .25 *  TotalRTSpinQSP BrtT’uI’Q’M’R’W’F’S’Nz’VL'mdhc)

#### HourlyTotalSpinEQSP

HourlyTotalSpinEQSP Brtmdh =  SUM(T’,u,I’,Q’,M’,R’,W’,F’,S’,V,L’) max((HourlyTotalSpinQSP BrtuT’I’Q’M’VL’W’R’F’S’mdh - HourlyTotalNoPaySpinQSP BrtuT’Q’I’M’VL’W’R’F’S’mdh ),0)

HourlyTotalNoPaySpinQSP

HourlyTotalNoPaySpinQSP BrtuT’I’Q’M’VL’W’R’F’S’mdh   =   BAResourceNoPaySpinSelfProvisionQuantity BrtT’uI’Q’M’R’W’F’S’VL'mdhcif

And where HourlyTotalSpinQSP

HourlyTotalSpinQSP BrtuT’I’Q’M’VL’W’R’F’S’mdh =  (Max(0, DASpinQSP BrtT’uI’Q’M’R’W’F’S’Nz’VL'mdh + HourlyRTSpinQSP BrtT’uI’Q’M’R’W’F’S’Nz’VL'mdh))

Where Q’ = CISO

#### BAHourlyTotalSpinEQSP

BAHourlyTotalSpinEQSP Bmdh =   HourlyTotalSpinEQSP Brtmdh

#### CAISOHourlyTotalSpinEQSP mdh

CAISOHourlyTotalSpinEQSP mdh = HourlyTotalSpinEQSP Brtmdh

### NONSPIN:

HourlyRTNonSpinResConstraintDisqualifiedQuantity

HourlyRTNonSpinResConstraintDisqualifiedQuantity BrtQ’F’S’mdh=   (.25 * 15MRTNonSpinResConstraintDisqualifiedQuantity BrtQ’F’S’mdhc

15MRTNonSpinResConstraintDisqualifiedQuantity

IF

15MNonSpinResConstraintFlag Brtmdhc = 1

THEN

15MRTNonSpinResConstraintDisqualifiedQuantity BrtQ’F’S’mdhc = 0

ELSE

15MRTNonSpinResConstraintDisqualifiedQuantity BrtQ’F’S’mdhc = abs (15MRTNonSpinDisqualifiedQuantity BrtQ’F’S’mdhc)

15MRTNonSpinDisqualifiedQuantity

15MRTNonSpinDisqualifiedQuantity BrtQ’F’S’mdhc =  (min ((TotalRTNonSpinQSP BrtT’uI’Q’M’R’W’F’S’Nz’VL'mdhc – (DANonSpinAwardedBidQuantity BrtuT’I’Q’M’VL’W’R’F’S’mdh  + DANonSpinQSP BrtT’uI’Q’M’R’W’F’S’Nz’VL'mdh)), 0))

Where Q’ = CISO

Note: The DAAwardedNonSpinBidCapacity + DANonSpinQSP will be converted to MWs per Ancillary Service interval through use of special function

#### HourlyRTNonSpinQSP

HourlyRTNonSpinQSP BrtT’uI’Q’M’R’W’F’S’Nz’VL'mdh = max (0, (RTNonSpinQSP BrtT’uI’Q’M’R’W’F’S’Nz’VL'mdh – (DANonSpinAwardedBidQuantity BrtuT’I’Q’M’VL’W’R’F’S’mdh  + DANonSpinQSP BrtT’uI’Q’M’R’W’F’S’Nz’VL'mdh)))

#### RTNonSpinQSP

### RTNonSpinQSP BrtT’uI’Q’M’R’W’F’S’Nz’VL'mdh =  ( .25 *  TotalRTNonSpinQSP BrtT’uI’ Q’M’R’W’F’S’Nz’VL'mdhc)

#### HourlyTotalNonSpinEQSP

HourlyTotalNonSpinEQSP Brtmdh =  SUM(T’,u,I’,Q’,M’,R’,W’,F’,S’,V,L’) max((HourlyTotalNonSpinQSP BrtT’uI’Q’M’R’W’F’S’VL'mdh - HourlyTotalNoPayNonSpinQSP BrtT’uI’Q’M’R’W’F’S’VL'mdh ),0)

##### HourlyTotalNoPayNonSpinQSP

HourlyTotalNoPayNonSpinQSP BrtT’uI’Q’M’R’W’F’S’VL'mdh   =  BAResourceNoPayNonSpinSelfProvisionQuantity BrtT’uI’Q’M’R’W’F’S’VL'mdhcif

##### And where HourlyTotalNonSpinQSP BrtT’uI’M’R’W’F’S’VL'mdh is defined as

HourlyTotalNonSpinQSP BrtT’uI’Q’M’R’W’F’S’VL'mdh =  (Max (0, DANonSpinQSP BrtT’uI’Q’M’R’W’F’S’Nz’VL'mdh + HourlyRTNonSpinQSP BrtT’uI’Q’M’R’W’F’S’Nz’VL'mdh))

Where Q’=CISO

#### BAHourlyTotalNonSpinEQSP

BAHourlyTotalNonSpinEQSP Bmdh =   HourlyTotalNonSpinEQSP Brtmdh

#### CAISOHourlyTotalNonSpinEQSP

CAISOHourlyTotalNonSpinEQSP mdh = HourlyTotalNonSpinEQSP Brtmdh

#### HourlyTotalRegUpNetProc

HourlyTotalRegUpNetProc BrtQ’mdh = (HourlyTotalAwardedRegUpBidCapacity BrtuT’I’Q’M’VL’W’R’F’S’mdh   - HourlyTotalNoPayRegUpBid BrtuT’I’Q’M’VL’W’R’F’S’mdh)

##### HourlyTotalAwardedRegUpBidCapacity

HourlyTotalAwardedRegUpBidCapacity BrtuT’I’Q’M’VL’W’R’F’S’mdh = ( DARegUpAwardedBidQuantity BrtuT’I’Q’M’VL’W’R’F’S’mdh + (.25) * 15MinuteRTMRegUpAwardedBidQuantity BrtuT’I’Q’M’VL’W’R’F’S’mdhc )

#### BAHourlyTotalRegUpNetProc

BAHourlyTotalRegUpNetProc BQ’mdh =   HourlyTotalRegUpNetProc BrtQ’mdh

#### CAISOHourlyTotalRegUpNetProc

CAISOHourlyTotalRegUpNetProc Q’mdh = SUM(B,r,t)HourlyTotalRegUpNetProc BrtQ’mdh

#### HourlyTotalRegDownNetProc

HourlyTotalRegDownNetProc BrtQ’mdh =  ( HourlyTotalAwardedRegDownBidCapacity BrtuT’I’Q’M’VL’W’R’F’S’mdh – HourlyTotalNoPayRegDownBid BrtT’uI’Q’M’R’W’F’S’VL'mdh)

##### HourlyTotalAwardedRegDownBidCapacity

HourlyTotalAwardedRegDownBidCapacity BrtuT’I’Q’M’VL’W’R’F’S’mdh =(DARegDownAwardedBidQuantity BrtuT’I’Q’M’VL’W’R’F’S’mdh + ( (.25) * 15MinuteRTMRegDownAwardedBidQuantity BrtuT’I’Q’M’VL’W’R’F’S’mdhc))

#### BAHourlyTotalRegDownNetProc

BAHourlyTotalRegDownNetProc BQ’mdh =   HourlyTotalRegDownNetProc BrtQ’mdh

#### CAISOHourlyTotalRegDownNetProc

CAISOHourlyTotalRegDownNetProc Q’mdh = SUM(B,r,t)HourlyTotalRegDownNetProc BrtQ’mdh

#### HourlyTotalSpinNetProc

HourlyTotalSpinNetProc BrtQ’mdh =   (HourlyTotalAwardedSpinBidCapacity BrtuT’I’Q’M’VL’W’R’F’S’mdh -  HourlyTotalNoPaySpinBid BrtuT’I’Q’M’VL’W’R’F’S’mdh)

##### HourlyTotalNoPaySpinBid

HourlyTotalNoPaySpinBid BrtuT’I’Q’M’VL’W’R’F’S’mdh = Min (BAResourceNoPaySpinAwardQuantity BrtT’uI’Q’M’R’W’F’S’VL'mdhcif, HourlyTotalAwardedSpinBidCapacity BrtuT’I’Q’M’VL’W’R’F’S’mdh)

##### HourlyTotalAwardedSpinBidCapacity

HourlyTotalAwardedSpinBidCapacity BrtuT’I’Q’M’VL’W’R’F’S’mdh = ( DASpinAwardedBidQuantity BrtuT’I’Q’M’VL’W’R’F’S’mdh +  (.25) * 15MinuteRTMSpinAwardedBidQuantity BrtuT’I’Q’M’VL’W’R’F’S’mdhc )

#### BAHourlyTotalSpinNetProc

BAHourlyTotalSpinNetProc BQ’mdh =   HourlyTotalSpinNetProc BrtQ’mdh

#### CAISOHourlyTotalSpinNetProc Q’mdh

CAISOHourlyTotalSpinNetProc Q’mdh = SUM(B,r,t)HourlyTotalSpinNetProc BrtQ’mdh

#### HourlyTotalNonSpinNetProc

HourlyTotalNonSpinNetProc BrtQ’mdh =  ( HourlyTotalAwardedNonSpinBidCapacity BrtuT’I’Q’M’VL’W’R’F’S’mdh - HourlyTotalNoPayNonSpinBid BrtT’uI’Q’M’R’W’F’S’VL'mdh)

##### HourlyTotalNoPayNonSpinBid

HourlyTotalNoPayNonSpinBid BrtT’uI’Q’M’R’W’F’S’VL'mdh = Min (BAResourceNoPayNonSpinAwardQuantity BrtT’uI’Q’M’R’W’F’S’VL'mdhcif, HourlyTotalAwardedNonSpinBidCapacity BrtuT’I’Q’M’VL’W’R’F’S’mdh)

##### HourlyTotalAwardedNonSpinBidCapacity

HourlyTotalAwardedNonSpinBidCapacity BrtuT’I’Q’M’VL’W’R’F’S’mdh =  (DANonSpinAwardedBidQuantity BrtuT’I’Q’M’VL’W’R’F’S’mdh +  (.25) * 15MinuteRTMNonSpinAwardedBidQuantity BrtuT’I’Q’M’VL’W’R’F’S’mdhc)

#### BAHourlyTotalNonSpinNetProc

BAHourlyTotalNonSpinNetProc BQ’mdh =   HourlyTotalNonSpinNetProc BrtQ’mdh

#### CAISOHourlyTotalNonSpinNetProc

CAISOHourlyTotalNonSpinNetProc Q’mdh =  SUM(B,r,t)HourlyTotalNonSpinNetProc Brt Q’mdh

#### TotalRTRegUpReq

IF

(CAISOHourlyRTRegUpReq Q’mdh - CAISODARegUpReq Q’mdh ) < 0

THEN

TotalRTRegUpReq Q’mdh = CAISODARegUpReq Q’mdh

ELSE

TotalRTRegUpReq Q’mdh = CAISOHourlyRTRegUpReq Q’mdh

Where Q’ = CISO

##### CAISOHourlyRTRegUpReq

##### CAISOHourlyRTRegUpReq Q’mdh = .25 * (CAISORTRegUpReq Q’mdhc)

#### TotalRTRegDownReq

IF

(CAISOHourlyRTRegDownReq Q’mdh - CAISODARegDownReq Q’mdh < 0)

THEN

TotalRTRegDownReq Q’mdh = CAISODARegDownReq Q’mdh

ELSE

TotalRTRegDownReq Q’mdh = CAISOHourlyRTRegDownReq Q’mdh

Where Q’=CISO

##### CAISOHourlyRTRegDownReq

##### CAISOHourlyRTRegDownReq Q’mdh = .25 * (CAISORTRegDownReq Q’mdhc)

#### TotalRTSpinReq

IF

(CAISOHourlyRTSpinReq Q’mdh - CAISODASpinReq Q’mdh < 0)

THEN

TotalRTSpinReq Q’mdh = CAISODASpinReq Q’mdh

ELSE

TotalRTSpinReq Q’mdh = CAISOHourlyRTSpinReq Q’mdh

##### CAISOHourlyRTSpinReq

##### CAISOHourlyRTSpinReq Q’mdh = .25 * (CAISORTSpinReq Q’mdhc)

#### TotalRTNonSpinReq

IF

(CAISOHourlyRTNonSpinReq Q’mdh - CAISODANonSpinReq Q’mdh < 0)

THEN

TotalRTNonSpinReq Q’mdh = CAISODANonSpinReq Q’mdh

ELSE

TotalRTNonSpinReq Q’mdh = CAISOHourlyRTNonSpinReq Q’mdh

Where Q’ = CISO

##### CAISOhourlyRTNonSpinReq

#### CAISOHourlyRTNonSpinReq Q’mdh = .25 * (CAISORTNonSpinReq Q’mdhc)

#### HourlyTotalRegUpNetReq

HourlyTotalRegUpNetReq Q’mdh =  Max (0, TotalRTRegUpReq Q’mdh   - CAISOHourlyTotalRegUpEQSP mdh )

#### HourlyTotalRegDownNetReq

HourlyTotalRegDownNetReq Q’mdh = Max (0, TotalRTRegDownReq Q’mdh - CAISOHourlyTotalRegDownEQSPmdh )

#### HourlyTotalSpinNetReq

HourlyTotalSpinNetReq Q’mdh =  Max (0, TotalRTSpinReq Q’mdh   - CAISOHourlyTotalSpinEQSP mdh )

#### HourlTotalNonSpinNetReq

HourlyTotalNonSpinNetReq Q’mdh =  Max (0, TotalRTNonSpinReq Q’mdh - CAISOHourlyTotalNonSpinEQSP mdh)

#### NetReqScaleFactor

#### IF

#### (HourlyTotalRegUpNetReq Q’mdh + HourlyTotalSpinNetReq Q’mdh + HourlyTotalNonSpinNetReq Q’mdh ) <> 0

#### THEN

NetReqScaleFactor Q’mdh =  (CAISOHourlyTotalRegUpNetProc Q’mdh + CAISOHourlyTotalSpinNetProc Q’mdh + CAISOHourlyTotalNonSpinNetProc Q’mdh ) / (HourlyTotalRegUpNetReq Q’mdh + HourlyTotalSpinNetReq Q’mdh + HourlyTotalNonSpinNetReq Q’mdh )

ELSE

NetReqScaleFactor Q’mdh = 1.0

#### ScaledHourlyTotalRegUpNetReq

ScaledHourlyTotalRegUpNetReq Q’mdh =   NetReqScaleFactor Q’mdh * HourlyTotalRegUpNetReq Q’mdh

#### ScaledHourlyTotalSpinNetReq

ScaledHourlyTotalSpinNetReq Q’mdh = NetReqScaleFactor Q’mdh * HourlyTotalSpinNetReq Q’mdh

#### ScaledHourlyTotalNonSpinNetReq

ScaledHourlyTotalNonSpinNetReq Q’mdh =   NetReqScaleFactor Q’mdh * HourlyTotalNonSpinNetReq Q’mdh

#### BAHourlyTotalMeteredDemand

BAHourlyTotalMeteredDemand Bmdh =  (-1) * BAResSettlementIntervalGrossMeteredCAISODemandQuantity BrtuT’I’Q’M’AA’R’pPW’Qd’Nz’VvHn’L’mdhcif

Where Balancing Authority Area (Q’) = ‘CISO’

#### CAISOHourlyTotalMeteredDemand

CAISOHourlyTotalMeteredDemand mdh =   BAHourlyTotalMeteredDemand Bmdh

#### BAHourlyCAISODeemedDeliveredEnergyQuantity

#### BAHourlyCAISODeemedDeliveredEnergyQuantity Bmdh =  (-1) * BAHourlyInterchangeDeemedDeliveredEnergyQuantity BrtEuT’I’Q’M’AA’F’R’pPW’QS’d’Nz’OVvHn’L’mdh

Where

(Resource Type = ‘ITIE’ or ‘ETIE’) and Entity Component Type <> ‘TG’ 
and Balancing Authority Area = ‘CISO’

#### BAHourlyCAISODynamicEnergyQuantity

#### IF BAResourceDynamicASObligationFlag Brt = 0

THEN

#### BAHourlyCAISODynamicEnergyQuantity Bmdh =  (-1) * BAHourlyInterchangeDeemedDeliveredEnergyQuantity BrtEuT’I’Q’M’AA’F’R’pPW’QS’d’Nz’OVvHn’L’mdh

ELSE

BAHourlyCAISODynamicEnergyQuantity Bmdh = 0

Where Entity Component Type = ‘TG’ and Balancing Authority Area = ‘CISO’

#### BAHourlyEIMDynamicTransferEnergyQuantity

#### BAHourlyEIMDynamicTransferEnergyQuantity Bmdh =  ((-1) * (BA5MEIMTransferToTaggedQty BrtQ’AA’pF’S’Qmdhcif - BA5MEIMTransferFromTaggedQty BrtQ’AA’pF’S’Qmdhcif )/12))

Where Entity Component Subype = ‘EIM_DYN’ and Balancing Authority Area = ‘CISO’

#### RegUpObligMW

RegUpObligMW Bdmh = RegUpObligNoTradeMW Bmdh  + BAHourlyTotalRegUpTradeMW Bmdh

##### RegUpToLoadObligRatio

RegUpToLoadObligRatio mdh   = SUM(Q’)TotalRTRegUpReq Q’mdh / CAISOHourlyTotalMeteredDemand mdh

##### BAHourlyTotalRegUpTradeMW

BAHourlyTotalRegUpTradeMW Bmdh   =  (RegUpFromTradeMW Bsmdh - RegUpToTradeMW Bsmdh  )

#### RegUpObligNoTradeMW

RegUpObligNoTradeMW Bmdh = RegUpToLoadObligRatio mdh * BAHourlyTotalMeteredDemand Bmdh

#### RegDownObligMW

RegDownObligMW Bmdh = RegDownObligNoTradeMW Bmdh + BAHourlyTotalRegDownTradeMW Bmdh

##### RegDownToLoadObligRatio

RegDownToLoadObligRatio mdh = SUM(Q’)TotalRTRegDownReq Q’mdh / CAISOHourlyTotalMeteredDemand mdh

##### BAHourlyTotalRegDownTradeMW

BAHourlyTotalRegDownTradeMW Bmdh = (RegDownFromTradeMW Bsmdh -  RegDownToTradeMW Bsmdh )

#### RegDownObligNoTradeMW

RegDownObligNoTradeMW Bmdh = RegDownToLoadObligRatio mdh * BAHourlyTotalMeteredDemand Bmdh

#### BAHourlyEIMDynamicTranferObligationQuantity

#### BAHourlyEIMDynamicTransferObligationQuantity Bmdh = OperReserveObligIntertieRatio * BAHourlyEIMDynamicTransferEnergyQuantity Bmdh

#### OperReserveOblig

OperReserveOblig Bmdh = OperReserveObligDemandRatio * BAHourlyTotalMeteredDemand Bmdh + OperReserveObligIntertieRatio * (BAHourlyCAISODeemedDeliveredEnergyQuantity Bmdh + BAHourlyCAISODynamicEnergyQuantity Bmdh) + BAHourlyEIMDynamicTransferObligationQuantity Bmdh

#### AdjustedOperReserveOblig

IF

OperReserveOblig Bmdh >= 0

THEN

AdjustedOperReserveOblig Bmdh = OperReserveOblig Bmdh

ELSE

AdjustedOperReserveOblig Bmdh = OperReserveOblig Bmdh   * OperReserveObligAdjustFactor mdh

#### BAAdjustedOperReserveOblig

IF

OperReserveOblig Bmdh >= 0

THEN

BAAdjustedOperReserveOblig Bmdh = (OperReserveOblig Bmdh - BAHourlyEIMDynamicTransferObligationQuantity Bmdh)

ELSE

BAAdjustedOperReserveOblig Bmdh = (OperReserveOblig Bmdh - BAHourlyEIMDynamicTransferObligationQuantity Bmdh)   * OperReserveObligAdjustFactor mdh

##### OperReserveObligAdjustFactor

#### IF

#### ExcessOperReserveObligNetofEQSP mdh   < 0

#### THEN

#### OperReserveObligAdjustFactor mdh = Max (0, (BAHourlyTotalSpinEQSP Bmdh + BAHourlyTotalNonSpinEQSP Bmdh - Max (0, OperReserveOblig Bmdh )) / Min (0, OperReserveOblig Bmdh))

ELSE

OperReserveObligAdjustFactor mdh = 1

Note: should be evaluated for all positive and negative OperReserveOblig Bdh values

ExcessOperReserveObligNetofEQSP

ExcessOperReserveObligNetofEQSP mdh = (OperReserveOblig Bmdh - BAHourlyTotalSpinEQSP Bmdh - BAHourlyTotalNonSpinEQSP Bmdh)

#### SpinObligMW

SpinObligMW Bmdh = AdjustedOperReserveOblig Bmdh * RTSpinToOperReserveReqRatio mdh + BAHourlyTotalSpinTradeMW Bmdh

###### RTSpinToOperReserveReqRatio

RTSpinToOperReserveReqRatio mdh   = SUM(Q’)TotalRTSpinReq Q’mdh / (TotalRTSpinReq Q’mdh +   TotalRTNonSpinReq Q’mdh)

##### BAHourlyTotalSpinTradeMW

BAHourlyTotalSpinTradeMW Bmdh =  (SpinFromTradeMW Bsmdh - SpinToTradeMW Bsmdh)

#### SpinObligNoTradeMW

SpinObligNoTradeMW Bmdh = AdjustedOperReserveOblig Bmdh * RTSpinToOperReserveReqRatio mdh

#### NonSpinObligMW

NonSpinObligMW Bmdh = AdjustedOperReserveOblig Bmdh * RTNonSpinToOperReserveReqRatio mdh + BAHourlyTotalNonSpinTradeMW Bmdh

##### RTNonSpinToOperReserveReqRatio

RTNonSpinToOperReserveReqRatio mdh = SUM(Q’)TotalRTNonSpinReq Q’mdh / (TotalRTSpinReq Q’mdh +   TotalRTNonSpinReq Q’mdh)

##### BAHourlyTotalnonSpinTradeMW

BAHourlyTotalNonSpinTradeMW Bmdh = (NonSpinFromTradeMW Bsmdh - NonSpinToTradeMW Bsmdh)

#### NonSpinObligNoTradeMW

NonSpinObligNoTradeMW Bmdh = AdjustedOperReserveOblig Bmdh * RTNonSpinToOperReserveReqRatio mdh

#### BACISONonSpinObligNoTradeMW

BACISONonSpinObligNoTradeMW Bmdh = BAAdjustedOperReserveOblig Bmdh * RTNonSpinToOperReserveReqRatio mdh

#### BACISOSpinObligNoTradeMW

BACISOSpinObligNoTradeMW Bmdh = BAAdjustedOperReserveOblig Bmdh * RTSpinToOperReserveReqRatio mdh

## Outputs

| Output Req ID | Name | Description |
| --- | --- | --- |
|  | HourlyTotalRegUpEQSP Brtmdh | Hourly Total Regulation Up Effective Qualified Self-Provision capacity for resource r (MW) |
|  | BAHourlyTotalRegUpEQSP Bmdh | BA Hourly Total Regulation Up Effective Qualified Self-Provision capacity for resource (MW) |
|  | CAISOHourlyTotalRegUpEQSP mdh | CAISO Hourly Total Regulation Up Effective Qualified Self-Provision capacity (MW) |
|  | HourlyTotalRegDownEQSP Brtmdh | Hourly Total Regulation Down Effective Qualified Self-Provision capacity for resource r (MW) |
|  | BAHourlyTotalRegDownEQSP Bmdh | BA Hourly Total Regulation Down Effective Qualified Self-Provision capacity for resource (MW) |
|  | CAISOHourlyTotalRegDownEQSP mdh | CAISO Hourly Total Regulation Down Effective Qualified Self-Provision capacity (MW) |
|  | HourlyTotalSpinEQSP Brtmdh | Hourly Total Spinning Reserve Effective Qualified Self-Provision capacity for resource r (MW) |
|  | BAHourlyTotalSpinEQSP Bmdh | BA Hourly Total Spinning Reserve Effective Qualified Self-Provision capacity for resource r (MW) |
|  | CAISOHourlyTotalSpinEQSP mdh | CAISO Hourly Total Spinning Reserve Effective Qualified Self-Provision capacity (MW) |
|  | HourlyTotalNonSpinEQSP Brtmdh | Hourly Total Non-Spinning Reserve Effective Qualified Self-Provision capacity for resource r (MW) |
|  | BAHourlyTotalNonSpinEQSP Bmdh | BA Hourly Total Non-Spinning Reserve Effective Qualified Self-Provision capacity for resource (MW) |
|  | CAISOHourlyTotalNonSpinEQSP mdh | CAISO Hourly Total Non-Spinning Reserve Effective Qualified Self-Provision capacity (MW) |
|  | ScaledHourlyTotalRegUpNetReq Q’mdh | Scaled Hourly Total Regulation Up Net Requirement (MW) |
|  | ScaledHourlyTotalSpinNetReq Q’mdh | Scaled Hourly Total Spinning reserve Net Requirement (MW) |
|  | ScaledHourlyTotalNonSpinNetReq Q’mdh | Scaled Hourly Total Non-Spinning Reserve Net Requirement (MW) |
|  | HourlyTotalRegUpNetProc BrtQ’mdh | Hourly Total Regulation Up Net Procurement for resource r (MW) |
|  | BAHourlyTotalRegUpNetProc BQ’mdh | BA Hourly Total Regulation Up Net Procurement for Business Associate B (MW) |
|  | CAISOHourlyTotalRegUpNetProc Q’mdh | CAISO Hourly Total Regulation Up Net Procurement for resource r (MW) |
|  | HourlyTotalRegDownNetProc BrtQ’mdh | Hourly Total Regulation Down Net Procurement for resource r (MW) |
|  | BAHourlyTotalRegDownNetProc BQ’mdh | BA Hourly Total Regulation Down Net Procurement for Business Associate B (MW) |
|  | CAISOHourlyTotalRegDownNetProc Q’mdh | CAISO Hourly Total Regulation Down Net Procurement for resource r (MW) |
|  | HourlyTotalSpinNetProc BrtQ’mdh | Hourly Total Spinning Reserve Net Procurement for resource r (MW) |
|  | BAHourlyTotalSpinNetProc BQ’mdh | BA Hourly Total Spinning Reserve Net Procurement for Business Associate B (MW) |
|  | CAISOHourlyTotalSpinNetProc Q’mdh | CAISO Hourly Total Spinning Reserve Net Procurement (MW) |
|  | HourlyTotalNonSpinNetProc BrtQ’mdh | Hourly Total Non-Spinning Reserve Net Procurement for resource r (MW) |
|  | BAHourlyTotalNonSpinNetProc BQ’mdh | BA Hourly Total Non-Spinning Reserve Net Procurement for Business Associate B (MW) |
|  | CAISOHourlyTotalNonSpinNetProc Q’mdh | CAISO Hourly Total Non-Spinning Reserve Net Procurement for (MW) |
|  | HourlyTotalNoPaySpinBid BrtuT’I’Q’M’VL’W’R’F’S’mdh | Hourly Total No Pay Spinning Reserve Awarded Bid capacity for resource r (MW) |
|  | HourlyTotalNoPayNonSpinBid BrtuT’I’Q’M’VL’W’R’F’S’mdh | Hourly Total No Pay Non-Spinning Reserve Awarded Bid capacity for resource r (MW) |
|  | SpinObligMW Bmdh | Spinning Reserve Obligation MW for Business Associate B (MW) |
|  | NonSpinObligMW Bmdh | Non-Spinning Reserve Obligation MW for Business Associate B (MW) |
|  | RegUpObligMW Bmdh | Regulation Up Obligation MW for Business Associate B (MW) |
|  | RegDownObligMW Bmdh | Regulation Down Obligation MW for Business Associate B (MW) |
|  | RegUpObligNoTradeMW Bmdh | Regulation Up Obligation MW with no trade adjustment for Business Associate B (MW) |
|  | RegDownObligNoTradeMW Bmdh | Regulation Down Obligation MW with no trade adjustment for Business Associate B (MW) |
|  | SpinObligNoTradeMW Bmdh | Spinning Rserve Obligation MW with no trade adjustment for Business Associate B (MW) |
|  | NonSpinObligNoTradeMW Bmdh | Non-Spinning Rserve Obligation MW with no trade adjustment for Business Associate B (MW) |
|  | In addition, all inputs are required to be accessible for review by analysts and report on Settlement Statements. |  |
|  | AdjustedOperReserveOblig Bmdh | Adjusted Operating Reserve Obligation MW for Business Associate B (MW) |
|  | OperReserveOblig Bmdh | Operating Reserve Obligation MW for Business Associate B (MW) |
|  | OperReserveObligAdjustFactor mdh | Operating Reserve Obligation Adjustment Factor for Business Associate B (%) |
|  | ExcessOperReserveObligNetofEQSP mdh | Excess of Operating Reserve Obligation net of Effective Qualified Self-Provision sum over all Business Associates (MW) |
|  | RTSpinToOperReserveReqRatio mdh | Real-Time Spinning reserve requirement to Operating reserve requirement ratio (%) |
|  | RTNonSpinToOperReserveReqRatio mdh | Real-Time Non-Spinning reserve requirement to Operating reserve requirement ratio (%) |
|  | RegUpToLoadObligRatio mdh | Regulation Up to CAISO total Metered Load ratio (%) |
|  | RegDownToLoadObligRatio mdh | Regulation Down to CAISO total Metered Load ratio (%) |
|  | CAISOHourlyTotalMeteredDemand mdh | CAISO Hourly total metered Load (MWh) |
|  | BAHourlyTotalRegUpTradeMW Bmdh | BA Hourly Total Regulation Up trade MW sold and bought by Business Associate B (MW) |
|  | BAHourlyTotalRegDownTradeMW Bmdh | BA Hourly Total Regulation Down trade MW sold and bought by Business Associate B (MW) |
|  | BAHourlyTotalSpinTradeMW Bmdh | BA Hourly Total Spinning Reserve trade MW sold by Business Associate B (MW) |
|  | BAHourlyCAISODeemedDeliveredEnergyQuantity Bmdh | BA Hourly CAISO Deemed Delivered Energy Quantity for Business Associate B (MWh) |
|  | BAHourlyCAISODynamicEnergyQuantity Bmdh | BA Hourly CAISO Dynamic Energy Quantity for Business Associate B (MWh) |
|  | BAHourlyEIMDynamicTransferEnergyQuantity Bmdh | BA Hourly EIM Dynamic Transfer Energy Quantity for Business Associate B (MWh) |
|  | BAHourlyEIMDynamicTransferObligationQuantity Bmdh | BA Hourly EIM Dynamic Transfer Obligation Quantity for Business Associate B (MWh) |
|  | HourlyTotalRegUpQSP BrtT’uI’Q’M’R’W’F’S’VL'mdh | Hourly Total Regulation Up Qualified Self-Provision for resource r (MW) |
|  | HourlyTotalRegDownQSP BrtT’uI’Q’M’R’W’F’S’VL'mdh | Hourly Total Regulation Down Qualified Self-Provision for resource r (MW) |
|  | HourlyTotalNoPaySpinQSP BrtT’uI’Q’M’R’W’F’S’VL'mdh | Hourly Total No Pay Spinning Reserve associated with Qualified Self-Provision for resource r (MW) |
|  | HourlyTotalSpinQSP BrtT’uI’Q’M’R’W’F’S’VL'mdh | Hourly Total Spinning Reserve Qualified Self-Provision for resource r (MW) |
|  | HourlyTotalNonSpinQSP BrtT’uI’Q’M’R’W’F’S’VL'mdh | Hourly Total No Pay Non-Spinning Reserve associated with Qualified Self-Provision for resource r (MW) |
|  | HourlyTotalNoPayNonSpinQSP BrtT’uI’Q’M’R’W’F’S’VL'mdh | Hourly Total Non-Spinning Reserve Qualified Self-Provision for resource r (MW) |
|  | HourlyTotalAwardedRegUpBidCapacity BrtT’uI’Q’M’R’W’F’S’VL'mdh | Hourly Total Regulation Up Awarded Bid Capacity for resource r (MW) |
|  | HourlyTotalAwardedRegDownBidCapacity BrtT’uI’Q’M’R’W’F’S’VL'mdh | Hourly Total Regulation Down Awarded Bid Capacity for resource r (MW) |
|  | HourlyTotalAwardedSpinBidCapacity BrtT’uI’Q’M’R’W’F’S’VL'mdh | Hourly Total Spinning Reserve Awarded Bid Capacity for resource r (MW) |
|  | HourlyTotalAwardedNonSpinBidCapacity BrtT’uI’Q’M’R’W’F’S’VL'mdh | Hourly Total Non-Spinning Reserve Awarded Bid Capacity for resource r (MW) |
|  | HourlyTotalRegUpNetReq Q’mdh | CAISO Hourly Total Regulation Up Requirement (MW) |
|  | HourlyTotalRegDownNetReq Q’mdh | CAISO Hourly Total Regulation Down Requirement (MW) |
|  | HourlyTotalSpinNetReq Q’mdh | CAISO Hourly Total Spinning Reserve Requirement (MW) |
|  | HourlyTotalNonSpinNetReq Q’mdh | CAISO Hourly Total Non Spinning Reserve Requirement (MW) |
|  | NetReqScaleFactor Q’mdh | Net Requirement Scale Factor for Upward Ancillary Services (%) |
|  | BAHourlyTotalMeteredDemand Bmdh | BA Hourly Total metered Demand MWh for Business Associate B (MWh) |
|  | DARegUpAward BrtQ’F’S’mdh | Day Ahead Regulation Up Capacity awarded for resource r |
|  | DARegDownAward BrtQ’F’S’mdh | Day Ahead Regulation Down Capacity awarded resource r. |
|  | DASpinAward BrtQ’F’S’mdh | Day Ahead Spin Capacity awarded for resource r. |
|  | DANonSpinAward BrtQ’F’S’mdh | Day Ahead Non-Spinning Capacity awarded for resource r. |
|  | RTRegDownAward BrtQ’F’S’mdhc | Awarded Regulation Down Bid capacity in Real Time market for resource r. |
|  | RTRegUpAward BrtQ’F’S’mdhc | Awarded Regulation Up Bid capacity in Real Time market for resource r. |
|  | RTSpinAward BrtQ’F’S’mdhc | Awarded Spin Bid capacity in Real Time market for resource r. |
|  | RTNonSpinAward BrtQ’F’S’mdhc | Awarded Non-Spinning Bid capacity in Real Time market for resource r. |
|  | RTRegUpQSP BrtT’uI’Q’M’R’W’F’S’Nz’VL'mdh | Real Time Regulation Up Qualified Self-Provision capacity for resource r c (MW). |
|  | HourlyRTRegUpQSP BrtT’uI’Q’M’R’W’F’S’Nz’VL'mdh | Real Time Regulation Up Qualified Self-Provision capacity for resource r (MW). |
|  | RTRegDownQSP BrtT’uI’Q’M’R’W’F’S’Nz’VL'mdh | Real Time Regulation Down Qualified Self-Provision capacity for resource r (MW). |
|  | HourlyRTRegDownQSP BrtT’uI’Q’M’R’W’F’S’Nz’VL'mdh | Real Time Regulation Down Qualified Self-Provision capacity for resource r (MW). |
|  | RTSpinQSP BrtT’uI’Q’M’R’W’F’S’Nz’VL'mdh | Real Time Spin Qualified Self-Provision capacity for resource r (MW). |
|  | HourlyRTSpinQSP BrtT’uI’Q’M’R’W’F’S’Nz’VL'mdh | Real Time Spin Qualified Self-Provision capacity for resource r (MW). |
|  | RTNonSpinQSP BrtT’uI’Q’M’R’W’F’S’Nz’VL'mdh | Real Time Non-Spinning Qualified Self-Provision capacity for resource r (MW). |
|  | HourlyRTNonSpinQSP BrtT’uI’Q’M’R’W’F’S’Nz’VL'mdh | Real Time Non-Spinning Qualified Self-Provision capacity for resource r (MW). |
|  | BAHourlyTotalNonSpinTradeMW Bmdh | BA Hourly Total Non-Spinning Reserve trade MW sold by Business Associate B (MW) |
|  | DARegUpImportQSP BrtF’S’Nz’mdh | Day Ahead Regulation Up Import Qualified Self-Provision capacity for resource r. (MW) Where Resource type = ‘ITIE’ |
|  | DARegDownImportQSP BrtF’S’Nz’mdh | Day Ahead Regulation Down Import Qualified Self-Provision capacity for resource r (MW) Where Resource type = ‘ITIE’ |
|  | DASpinImportQSP BrtF’S’Nz’mdh | Day Ahead Spinning Reserve Import Qualified Self-Provision capacity for resource r (MW) Where Resource type = ‘ITIE’ |
|  | DANonSpinImportQSP BrtF’S’Nz’mdh | Day Ahead Non-Spinning Reserve Import Qualified Self-Provision capacity for resource r (MW) Where Resource type = ‘ITIE’ |
|  | RTRegUpImportQSP BrtF’S’Nz’mdh | Total RT Regulation Up Reserve Import Qualified Self-Provision capacity for resource r (MW) |
|  | RTRegDownImportQSP BrtF’S’Nz’mdh | Total RT Regulation Down Reserve Import Qualified Self-Provision capacity for resource r (MW) |
|  | RTNonSpinImportQSP BrtF’S’Nz’mdh | Total RT Non Spin Reserve Import Qualified Self-Provision capacity for resource r (MW) |
|  | RTSpinImportQSP BrtF’S’Nz’mdh | Total RT Spin Import Qualified Self-Provision capacity for resource r (MW) |
|  | TotalRTSpinReq Q’mdh | Total Real-Time Spinning Reserve Requirement (MW) |
|  | TotalRTNonSpinReq Q’mdh | Total Real-Time Non-Spinning Reserve Requirement (MW) |
|  | TotalRTRegUpReq Q’mdh | Total Real-Time Regulation Up Requirement (MW) |
|  | TotalRTRegDownReq Q’mdh | Total Real-Time Regulation Down Requirement (MW) |
|  | CAISOHourlyRTRegUpReq Q’mdh | CAISO Hourly Real-Time Regulation Up Requirement (MW) |
|  | CAISOHourlyRTRegDownReq Q’mdh | CAISO Hourly Real-Time Regulation Down Requirement (MW) |
|  | CAISOHourlyRTSpinReq Q’mdh | CAISO Hourly Real-Time Spin Requirement (MW) |
|  | CAISOHourlyRTNonSpinReq Q’mdh | CAISO Hourly Real-Time Non-Spin Requirement (MW) |
|  | HourlyRTRegUpResConstraintDisqualifiedQuantity BrtQ’F’S’mdh | Total Hourly Regulation Up Capacity Disqualified based upon Resource Constraint prior to Real Time Market for resource r. |
|  | 15MRTRegUpResConstraintDisqualifiedQuantity BrtQ’F’S’mdhc | Total 15 Minute Regulation Up Capacity Disqualified based upon Resource Constraint prior to Real Time Market for resource r. |
|  | 15MRTRegUpDisqualifiedQuantity BrtQ’F’S’mdhc | Total 15 Minute Regulation Up Capacity Disqualified prior to Real Time Market for resource r. |
|  | HourlyRTRegDownResConstraintDisqualifiedQuantity BrtQ’F’S’mdh | Total Hourly Regulation Down Capacity Disqualified based upon Resource Constraint prior to Real Time Market for resource r. |
|  | 15MRTRegDownResConstraintDisqualifiedQuantity BrtQ’F’S’mdhc | Total 15 Minute Regulation Down Capacity Disqualified based upon Resource Constraint prior to Real Time Market for resource r. |
|  | 15MRTRegDownDisqualifiedQuantity BrtQ’F’S’mdhc | Total 15 Minute Regulation Down Capacity Disqualified prior to Real Time Market for resource r. |
|  | HourlyRTSpinResConstraintDisqualifiedQuantity BrtQ’F’S’mdh | Total Hourly Spinning Reserve Capacity Disqualified based upon Resource Constraint prior to Real Time Market for resource r. |
|  | 15MRTSpinResConstraintDisqualifiedQuantity BrtQ’F’S’mdhc | Total 15 Minute Spinning Reserve Capacity Disqualified based upon Resource Constraint prior to Real Time Market for resource r. |
|  | 15MRTSpinDisqualifiedQuantity BrtQ’F’S’mdhc | Total 15 Minute Spinning Reserve Capacity Disqualified prior to Real Time Market for resource r. |
|  | HourlyRTNonSpinResConstraintDisqualifiedQuantity BrtQ’F’S’mdh | Total Hourly Non-Spinning Reserve Capacity Disqualified based upon Resource Constraint prior to Real Time Market for resource r. |
|  | 15MRTNonSpinResConstraintDisqualifiedQuantity BrtQ’F’S’mdhc | Total 15 Minute Non-Spinning Reserve Capacity Disqualified based upon Resource Constraint prior to Real Time Market for resource r. |
|  | 15MRTNonSpinDisqualifiedQuantity BrtQ’F’S’mdhc | Total 15 Minute Non-Spinning Reserve Capacity Disqualified prior to Real Time Market for resource r. |
|  | BACISONonSpinObligNoTradeMW Bmdh | Non Spin Obligation Quantity excluding Inter SC Trades and EIM Transfer Quantities |
|  | BACISOSpinObligNoTradeMW Bmdh | Spin Obligation Quantity excluding Inter SC Trades and EIM Transfer Quantities |
|  | BAAdjustedOperReserveOblig Bmdh | Adjusted Operating Reserve Obligation excluding EIM Transfer by Business Associate B (MWh) |

| Charge Code/ Pre-calc Name | Document Version | Effective Start Date | Effective End Date | Version Update Type |
| --- | --- | --- | --- | --- |
| Ancillary Services Pre-Calculation | 5.0 | 04/01/09 | 01/31/10 | Documentation Edits Only |
| Ancillary Services Pre-Calculation | 5.1 | 02/1/10 | 12/31/11 | Configuration Impacted |
| Ancillary Services Pre-Calculation | 5.1a | 01/1/12 | 12/31/11 | Documentation Edits Only |
| Ancillary Services Pre-Calculation | 5.2 | 1/1/12 | 11/30/12 | Configuration Impacted |
| Ancillary Services Pre-Calculation | 5.3 | 12/1/12 | 10/31/13 | Configuration Impacted |
| Ancillary Services Pre-Calculation | 5.4 | 11/1/13 | 4/30/13 | Configuration Impacted |
| Ancillary Services Pre-Calculation | 5.5 | 5/1/14 | 9/30/14 | Configuration Impacted |
| Ancillary Services Pre-Calculation | 5.6 | 10/1/14 | 6/30/15 | Configuration Impacted |
| Ancillary Services Pre-Calculation | 5.7 | 7/1/15 | 11/3/15 | Configuration Impacted |
| Ancillary Services Pre-Calculation | 5.8 | 11/4/15 | 2/29/16 | Configuration Impacted |
| Ancillary Services Pre-Calculation | 5.8a | 3/1/16 | 4/3/18 | Documentation Change Only |
| Ancillary Services Pre-Calculation | 5.9 | 4/4/18 | 4/3/18 | Configuration Impacted |
| Ancillary Services Pre-Calculation | 5.9a | 4/4/18 | 12/31/20 | Documentation Change Only |
| Ancillary Services Pre-Calculation | 5.10 | 1/1/21 | 2/15/22 | Configuration Impacted |
| Ancillary Services Pre-Calculation | 5.11 | 2/16/22 | 4/30/26 | Configuration Impacted |
| Ancillary Services Pre-Calculation | 5.12 | 5/1/26 | Open | Configuration Impacted |