## Curtailed
Report Generated on : 09/09/2022 07:30:07 (PPT)
Trade Date: 09/09/2022
Curtailed and Non-Operational Generator AM Report
Resource ID |  | Resource Name |  |  | Outage Type | Capacity (MW) | Curtailed (MW) | Zone Name | BA
CARLS2_1_CARCT1 |  | Carlsbad 2 |  |  | Forced | 105.50 | 6.38 | SDGE Gen | CISO
ETIWND_2_RTS010 |  | SPVP010 Fontana RT Solar |  |  | Forced | 1.50 | 1.50 | SCE Gen | CISO
PGSF_2_PDRP34 |  | PGSF_2_PDRP34 |  |  | Forced | 9.99 | 9.99 |  | CISO
ETIWND_2_RTS023 |  | SPVP023 Fontana RT Solar |  |  | Forced | 2.50 | 2.50 | SCE Gen | CISO
ETIWND_2_UNIT1 |  | ETIWND_2_UNIT1 |  |  | Planned | 33.60 | 31.60 | SCE Gen | CISO
ETIWND_6_GRPLND |  | Grapeland Peaker |  |  | Planned/Forced | 45.64 | 0.40 | SCE Gen | CISO
EXCHEC_7_UNIT 1 |  | EXCHEQUER HYDRO |  |  | Forced | 94.50 | 39.50 | PGAE South | CISO
FLOWD2_2_FPLWND |  | DIABLO WINDS |  |  | Forced | 18.00 | 7.50 | PGAE Gen | CISO
FMEADO_6_HELLHL |  | FMEADO_6_HELLHL |  |  | Forced | 0.60 | 0.60 | PGAE North | CISO
FMEADO_7_UNIT |  | FRENCH MEADOWS HYDRO |  |  | Forced | 16.00 | 16.00 | PGAE North | CISO
GARLND_2_GARBT1 |  | Garland B BESS |  |  | Forced | 88.00 | 18.00 | SCE Gen | CISO
GARLND_2_GASLR |  | Garland B |  |  | Forced | 180.00 | 24.40 | SCE Gen | CISO
GARLND_2_GASLRA |  | Garland A |  |  | Forced | 20.00 | 3.80 | SCE Gen | CISO
GARNET_1_SOLAR2 |  | Garnet Solar Power Generation Station 1 |  |  | Forced | 4.00 | 2.00 | SCE Gen | CISO
GARNET_2_HYDRO |  | Whitewater Hydro |  |  | Forced | 1.00 | 1.00 | SCE Gen | CISO
GARNET_2_WPMWD6 |  | WINTEC PALM |  |  | Forced | 5.93 | 5.93 | SCE Gen | CISO
GASKW1_2_GW1SR1 |  | Gaskell West 1 |  |  | Forced | 20.00 | 2.80 | SCE Gen | CISO
GATWAY_2_PL1X3 |  | GATEWAY GENERATING STATION |  |  | Forced | 585.00 | 73.00 | PGAE South | CISO
GEYS11_7_UNIT11 |  | GEYSERS UNIT 11 (HEALDSBURG) |  |  | Forced | 86.80 | 7.80 | PGAE Gen | CISO
GEYS12_7_UNIT12 |  | GEYSERS UNIT 12 (HEALDSBURG) |  |  | Forced | 57.00 | 12.00 | PGAE Gen | CISO
GEYS13_7_UNIT13 |  | GEYSERS UNIT 13 (HEALDSBURG) |  |  | Forced | 73.00 | 24.00 | PGAE Gen | CISO
GEYS14_7_UNIT14 |  | GEYSERS UNIT 14 (HEALDSBURG) |  |  | Forced | 70.00 | 15.00 | PGAE Gen | CISO
GEYS16_7_UNIT16 |  | GEYSERS UNIT 16 (HEALDSBURG) |  |  | Forced | 63.00 | 16.00 | PGAE Gen | CISO
GEYS17_7_UNIT17 |  | GEYSERS UNIT 17 (HEALDSBURG) |  |  | Forced | 75.50 | 75.50 | PGAE Gen | CISO
GEYS18_7_UNIT18 |  | GEYSERS UNIT 18 (HEALDSBURG) |  |  | Forced | 72.00 | 32.00 | PGAE Gen | CISO
GEYS20_7_UNIT20 |  | GEYSERS UNIT 20 (HEALDSBURG) |  |  | Forced | 50.00 | 16.00 | PGAE Gen | CISO
GILROY_1_UNIT |  | GILROY COGEN AGGREGATE |  |  | Planned/Forced | 120.00 | 15.00 | PGAE South | CISO
GILRPP_1_PL3X4 |  | GILROY ENERGY CENTER, UNIT #3 |  |  | Forced | 46.20 | 1.20 | PGAE Gen | CISO
GILRPP_1_PL3X4 |  | GILROY ENERGY CENTER, UNIT #3 |  |  | Forced | 46.20 | 1.20 | PGAE South | CISO
GLNARM_7_UNIT 4 |  | GLEN ARM UNIT 4 |  |  | Forced | 42.42 | 12.41 | SCE Gen | CISO
GRIZLY_1_UNIT 1 |  | GRIZZLY HYDRO |  |  | Forced | 20.00 | 20.00 | PGAE North | CISO
GRNLF2_1_UNIT |  | GREENLEAF II COGEN |  |  | Forced | 49.20 | 49.20 | PGAE North | CISO
GRSCRK_6_BGCKWW |  | BIG CREEK WATER WORKS - CEDAR FLAT |  |  | Forced | 5.00 | 5.00 | PGAE Gen | CISO
GWFPWR_1_UNITS |  | Hanford Peaker Plant |  |  | Forced | 98.46 | 7.66 | PGAE Gen | CISO
GYS5X6_7_UNITS |  | GEYSERS UNITS 5 &amp; 6 AGGREGATE |  |  | Planned/Forced | 98.43 | 17.43 | PGAE Gen | CISO
GYS7X8_7_UNITS |  | GEYSERS UNITS 7 &amp; 8 AGGREGATE |  |  | Forced | 95.80 | 13.80 | PGAE Gen | CISO
HALSEY_6_UNIT |  | HALSEY HYDRO |  |  | Planned | 13.50 | 13.50 | PGAE Gen | CISO
HARBGN_7_UNITS |  | HARBOR COGEN COMBINED CYCLE |  |  | Forced | 109.01 | 29.01 | SCE Gen | CISO
HATCR2_7_UNIT |  | Hat Creek #2 |  |  | Planned | 8.50 | 8.50 | PGAE North | CISO
HAYPRS_6_HAYHD1 |  | Haypress Lower |  |  | Forced | 5.80 | 5.80 | PGAE Gen | CISO
HAYPRS_6_HAYHD2 |  | Haypress Middle |  |  | Forced | 6.70 | 6.70 | PGAE Gen | CISO
HENRTA_6_UNITA1 |  | GWF HENRIETTA PEAKER PLANT UNIT 1 |  |  | Forced | 49.98 | 4.66 | PGAE South | CISO
HENRTA_6_UNITA2 |  | GWF HENRIETTA PEAKER PLANT UNIT 2 |  |  | Forced | 49.42 | 4.50 | PGAE South | CISO
HIDSRT_2_UNITS |  | HIGH DESERT POWER PROJECT AGGREGATE |  |  | Forced | 830.00 | 62.00 | SCE Gen | CISO
HNTGBH_2_PL1X3 |  | Huntington Beach Energy |  |  | Forced | 673.80 | 24.80 | SCE Gen | CISO
HUMBPP_6_UNITS |  | Humboldt Bay Generating Station 1 |  |  | Forced | 97.62 | 16.27 | PGAE North | CISO
HYTTHM_2_UNITS |  | HYATT-THERMALITO PUMP-GEN (AGGREGATE) |  |  | Forced | 933.10 | 927.10 | PGAE Gen | CISO
INDIGO_1_UNIT 1 |  | INDIGO PEAKER UNIT 1 |  |  | Forced | 45.30 | 4.30 | SCE Gen | CISO
INDIGO_1_UNIT 2 |  | INDIGO PEAKER UNIT 2 |  |  | Forced | 45.30 | 5.50 | SCE Gen | CISO
INDIGO_1_UNIT 3 |  | INDIGO PEAKER UNIT 3 |  |  | Forced | 45.30 | 5.80 | SCE Gen | CISO
INTKEP_2_UNITS |  | CCSF Hetch_Hetchy Hydro Aggregate |  |  | Planned | 405.00 | 335.00 | PGAE Gen | CISO
INTMNT_3_RIVERSIDE |  | IPPDYN |  |  | Forced | 136.00 | 1.00 | SCE Gen | CISO
IVSLRP_2_SOLAR1 |  | Silver Ridge Mount Signal |  |  | Forced | 200.00 | 74.00 | SDGE Gen | CISO
JANCRK_6_RCABT1 |  | Redwood Coast Airport Microgrid |  |  | Forced | 1.75 | 0.25 | PGAE Gen | CISO
JAWBNE_2_NSRWND |  | North Sky River Wind Project |  |  | Forced | 160.00 | 6.40 | SCE Gen | CISO
JAWBNE_2_SRWND |  | Sky River Wind Repower A |  |  | Forced | 30.00 | 3.00 | SCE Gen | CISO
JAWBNE_2_SRWWD2 |  | Sky River Wind Repower B |  |  | Forced | 30.20 | 5.30 | SDGE Gen | CISO
JOANEC_2_STABT1 |  | Santa Ana Storage 1 |  |  | Forced | 20.00 | 2.00 | SCE Gen | CISO
JOHANN_2_JOSBT1 |  | Johanna Storage 1 |  |  | Forced | 10.00 | 2.00 | SCE Gen | CISO
JOHANN_2_JOSBT2 |  | Johanna Storage 2 |  |  | Forced | 10.00 | 2.00 | SDGE Gen | CISO
KEKAWK_6_UNIT |  | STS HYDROPOWER LTD. (KEKAWAKA) |  |  | Forced | 5.50 | 5.50 | PGAE Gen | CISO
KELSO_2_UNITS |  | Mariposa Energy |  |  | Forced | 198.03 | 3.63 | PGAE Gen | CISO
KERNFT_1_UNITS |  | KERN FRONT LIMITED |  |  | Forced | 52.40 | 30.40 | PGAE South | CISO
KERRGN_1_UNIT 1 |  | KERN RIVER HYDRO UNITS 1-4 AGGREGATE |  |  | Forced | 25.60 | 12.10 | SCE Gen | CISO
KNGCTY_6_UNITA1 |  | King City Energy Center, Unit 1 |  |  | Forced | 44.60 | 2.60 | PGAE Gen | CISO
KNTSTH_6_SOLAR |  | Kent South |  |  | Forced | 20.00 | 1.50 | PGAE South | CISO
KYCORA_6_KMSBT1 |  | Kearny Mesa Storage |  |  | Forced | 1.00 | 0.50 | SDGE Gen | CISO
LAKHDG_6_UNIT 1 |  | Lake Hodges Pumped Storage-Unit1 |  |  | Planned | 20.00 | 20.00 | SDGE Gen | CISO
LAKHDG_6_UNIT 2 |  | Lake Hodges Pumped Storage-Unit2 |  |  | Planned | 20.00 | 20.00 | SDGE Gen | CISO
SANTFG_7_UNITS |  | GEYSERS CALISTOGA AGGREGATE |  |  | Forced | 72.00 | 14.00 | PGAE Gen | CISO
SANTGO_2_LNDFL1 |  | Bowerman Power |  |  | Forced | 19.60 | 2.60 | SCE Gen | CISO
SANWD_1_QF |  | San Gorgonio Farms Wind Farm |  |  | Forced | 31.00 | 3.50 | SCE Gen | CISO
SBERDO_2_PSP3 |  | Mountainview Gen Sta. Unit 3 |  |  | Forced | 555.00 | 14.00 | SCE Gen | CISO
SBERDO_2_PSP4 |  | Mountainview Gen Sta. Unit 4 |  |  | Forced | 555.00 | 20.00 | SCE Gen | CISO
SBERDO_2_SNTANA |  | SANTA ANA PSP |  |  | Forced | 6.95 | 6.95 | SCE Gen | CISO
SBERDO_6_MILLCK |  | MILL CREEK PSP |  |  | Forced | 3.93 | 3.13 | SCE Gen | CISO
SCEC_1_PDRP107 |  | SCEC_1_PDRP107 |  |  | Forced | 9.99 | 9.99 | SCE Gen | CISO
SCEC_1_PDRP108 |  | SCEC_1_PDRP108 |  |  | Forced | 9.99 | 9.99 | SCE Gen | CISO
SCEC_1_PDRP110 |  | SCEC_1_PDRP110 |  |  | Forced | 9.99 | 9.99 | SCE Gen | CISO
SCEC_1_PDRP16 |  | CBP-DA-C-LSCE |  |  | Forced | 8.73 | 8.73 | SCE Gen | CISO
SCEC_1_PDRP17 |  | CBP-DO-C-LSCE |  |  | Forced | 6.22 | 6.22 | SCE Gen | CISO
SCEC_1_PDRP180 |  | PDR-D SCEC |  |  | Forced | 9.90 | 9.90 | SCE Gen | CISO
SCEN_6_PDRP13 |  | CBP-DO-N-LSCE |  |  | Forced | 1.67 | 1.67 | SCE Gen | CISO
SCEN_6_PDRP28 |  | CBP-DA-N-LNEI1 |  |  | Forced | 1.65 | 1.65 | SCE Gen | CISO
SCEN_6_PDRP58 |  | SCEN_6_PDRP58 |  |  | Forced | 0.99 | 0.99 | SCE Gen | CISO
SCEN_6_PDRP90 |  | PDR-D SCEN |  |  | Forced | 3.60 | 3.60 | SCE Gen | CISO
SCEW_2_PDRP03 |  | LCR AMS Hybrid Irvine 1-W-LPIPO |  |  | Forced | 5.00 | 5.00 | SCE Gen | CISO
SCEW_2_PDRP12 |  | CBP-DA-W-LNEI1 |  |  | Forced | 2.74 | 2.74 | SCE Gen | CISO
SCEW_2_PDRP170 |  | PDR-D SCEW |  |  | Forced | 5.20 | 5.20 | SCE Gen | CISO
SCEW_2_PDRP35 |  | CBP-DO-W-LSCE |  |  | Forced | 4.11 | 4.11 | SCE Gen | CISO
SCHD_1_PDRP60 |  | PDR-D SCHD |  |  | Forced | 1.30 | 1.30 | SCE Gen | CISO
SCHLTE_1_PL1X3 |  | Tracy Combined Cycle Power Plant |  |  | Forced | 336.04 | 25.85 | PGAE Gen | CISO
SCHNDR_1_WSTSDE |  | Westside Solar Station |  |  | Forced | 15.00 | 3.00 | PGAE Gen | CISO
SCNW_6_PDRP05 |  | CBP-DO-NW-LSCE |  |  | Forced | 1.10 | 1.10 | SCE Gen | CISO
SCNW_6_PDRP70 |  | PDR-D SCNW |  |  | Forced | 5.00 | 5.00 | SCE Gen | CISO
SENTNL_2_CTG1 |  | Sentinel Unit 1 |  |  | Forced | 107.68 | 4.51 | SCE Gen | CISO
SENTNL_2_CTG2 |  | Sentinel Unit 2 |  |  | Forced | 104.19 | 6.20 | SCE Gen | CISO
SENTNL_2_CTG3 |  | Sentinel Unit 3 |  |  | Forced | 105.69 | 4.51 | SCE Gen | CISO
SENTNL_2_CTG4 |  | Sentinel Unit 4 |  |  | Forced | 106.55 | 4.51 | SCE Gen | CISO
SENTNL_2_CTG5 |  | Sentinel Unit 5 |  |  | Forced | 107.52 | 4.51 | SCE Gen | CISO
SENTNL_2_CTG6 |  | Sentinel Unit 6 |  |  | Forced | 105.00 | 4.51 | SCE Gen | CISO
SENTNL_2_CTG7 |  | Sentinel Unit 7 |  |  | Forced | 106.73 | 4.51 | SCE Gen | CISO
SENTNL_2_CTG8 |  | Sentinel Unit 8 |  |  | Forced | 106.85 | 4.51 | SCE Gen | CISO
SIERRA_1_UNITS |  | HIGH SIERRA LIMITED |  |  | Forced | 52.43 | 2.93 | PGAE Gen | CISO
SLATE_2_SLASR1 |  | Slate |  |  | Forced | 50.50 | 0.80 | PGAE Gen | CISO
SLATE_2_SLASR2 |  | SLATE_2 |  |  | Forced | 93.00 | 93.00 | PGAE Gen | CISO
SLATE_2_SLASR3 |  | SLATE_3 |  |  | Forced | 67.50 | 67.50 | PGAE Gen | CISO
SLATE_2_SLASR4 |  | SLATE_4 |  |  | Forced | 63.00 | 31.76 | PGAE Gen | CISO
SLUISP_2_UNITS |  | SAN LUIS (GIANELLI) PUMP-GEN (AGGREGATE) |  |  | Planned/Forced | 374.43 | 276.43 | PGAE Gen | CISO
SLYCRK_1_UNIT 1 |  | SLY CREEK HYDRO |  |  | Forced | 13.00 | 5.30 | PGAE North | CISO
SMPRIP_1_SMPSON |  | Ripon Cogeneration Unit 1 |  |  | Forced | 46.05 | 46.05 | PGAE Gen | CISO
SMUDGO_7_UNIT 1 |  | SONOMA POWER PLANT |  |  | Forced | 64.80 | 15.80 | PGAE Gen | CISO
SNCLRA_2_HOWLNG |  | Houwelings Nurseries Oxnard, Inc |  |  | Forced | 13.00 | 0.50 | SCE Gen | CISO
SNCLRA_2_UNIT1 |  | New Indy Oxnard |  |  | Planned | 27.80 | 16.80 | SCE Gen | CISO
SPBURN_7_SNOWMT |  | Burney Creek Hydro |  |  | Forced | 3.00 | 3.00 | PGAE North | CISO
SPRGVL_2_TULESC |  | TULE RIVER HYDRO PLANT (SCE) |  |  | Forced | 2.50 | 2.50 | SCE Gen | CISO
STANTN_2_STAGT1 |  | Stanton 1 |  |  | Forced | 49.65 | 0.19 | SCE Gen | CISO
STANTN_2_STAGT2 |  | Stanton 2 |  |  | Forced | 49.65 | 1.69 | SCE Gen | CISO
STIGCT_2_LODI |  | LODI STIG UNIT |  |  | Forced | 49.90 | 4.90 | PGAE Gen | CISO
STROUD_6_WWHSR1 |  | Winter Wheat Solar Farm |  |  | Forced | 1.50 | 1.50 | PGAE Gen | CISO
SUMWHT_6_SWSSR1 |  | Summer Wheat Solar Farm |  |  | Forced | 18.50 | 7.50 | PGAE Gen | CISO
SUNRIS_2_PL1X3 |  | Sunrise Power Project AGGREGATE II |  |  | Forced | 586.02 | 51.02 | PGAE Gen | CISO
SUNSET_2_UNITS |  | MIDWAY SUNSET COGENERATION PLANT |  |  | Forced | 248.00 | 11.00 | PGAE South | CISO
SUNSLR_1_SSVSR1 |  | Sunshine Valley Solar 1 |  |  | Forced | 100.00 | 16.00 | VEA Gen | CISO
SUTTER_2_CISO |  | Sutter Power Plant Pseudo-CISO |  |  | Forced | 275.00 | 3.00 | PGAE Gen | CISO
TERMEX_2_PL1X3 |  | TDM |  |  | Forced | 625.00 | 625.00 | SDGE Gen | CISO
TIGRCK_7_UNITS |  | TIGER CREEK HYDRO AGGREGATE |  |  | Planned/Forced | 62.00 | 17.00 | PGAE North | CISO
TOPAZ_2_SOLAR |  | Topaz Solar Farms |  |  | Forced | 550.00 | 50.00 | PGAE South | CISO
TRNQL8_2_ROJSR1 |  | Tranquillity 8 Rojo |  |  | Forced | 100.00 | 5.00 | PGAE Gen | CISO
TRNQL8_2_VERSR1 |  | Tranquillity 8 Verde |  |  | Forced | 60.00 | 5.00 | PGAE Gen | CISO
TRNQLT_2_RETBT1 |  | RE Tranquillity BESS |  |  | Forced | 72.00 | 23.00 | PGAE Gen | CISO
TRNQLT_2_SOLAR |  | Tranquillity |  |  | Forced | 200.00 | 5.50 | PGAE Gen | CISO
TRNSWD_1_QF |  | FPL Energy C Wind |  |  | Forced | 38.97 | 31.47 | SCE Gen | CISO
ULTPCH_1_UNIT 1 |  | Pacific Ultrapower Chinese Station |  |  | Forced | 18.00 | 18.00 | PGAE North | CISO
ULTPFR_1_UNIT 1 |  | Rio Bravo Fresno |  |  | Forced | 24.30 | 8.20 | PGAE South | CISO
USWND2_1_WIND1 |  | Golden Hills A |  |  | Forced | 42.96 | 7.16 | PGAE Gen | CISO
USWND2_1_WIND2 |  | Golden Hills B |  |  | Forced | 42.96 | 5.37 | PGAE Gen | CISO
USWND2_1_WIND3 |  | Golden Hills C |  |  | Forced | 46.00 | 9.20 | PGAE Gen | CISO
USWNDR_2_LABWD1 |  | LaBrisa Wind Project |  |  | Forced | 9.00 | 4.50 | PGAE Gen | CISO
USWNDR_2_SMUD |  | SOLANO WIND FARM |  |  | Forced | 102.18 | 3.30 | PGAE Gen | CISO
USWNDR_2_SMUD2 |  | Solano Wind Project Phase 3 |  |  | Forced | 127.80 | 3.00 | PGAE Gen | CISO
USWPFK_6_FRICK |  | Frick Summit Wind Repower |  |  | Forced | 10.00 | 2.50 | PGAE Gen | CISO
PGSF_2_PDRP35 |  | PGSF_2_PDRP35 |  |  | Forced | 9.99 | 9.99 |  | CISO
PGSF_2_PDRP37 |  | PGSF_2_PDRP37 |  |  | Forced | 9.99 | 9.99 |  | CISO
PGSF_2_PDRP38 |  | PGSF_2_PDRP38 |  |  | Forced | 9.99 | 9.99 |  | CISO
PGSF_2_PDRP46 |  | PGSF_2_PDRP46 |  |  | Forced | 0.99 | 0.99 |  | CISO
PGSF_2_PDRP55 |  | PDR-D PGZP |  |  | Forced | 0.65 | 0.65 |  | CISO
PGSI_1_PDRP48 |  | PGSI_1_PDRP48 |  |  | Forced | 9.99 | 9.99 |  | CISO
PGSI_1_PDRP50 |  | PDR-D SCEC |  |  | Forced | 1.97 | 1.97 |  | CISO
PGST_2_PDRP24 |  | PDR-D SCEN |  |  | Forced | 0.66 | 0.66 |  | CISO
PGST_2_PDRP39 |  | PGST_2_PDRP39 |  |  | Forced | 9.99 | 9.99 |  | CISO
PGZP_2_PDRP24 |  | PGZP_2_PDRP24 |  |  | Forced | 9.99 | 9.99 |  | CISO
PGZP_2_PDRP34 |  | PGZP_2_PDRP34 |  |  | Forced | 9.99 | 9.99 |  | CISO
PGZP_2_PDRP35 |  | PGZP_2_PDRP35 |  |  | Forced | 9.99 | 9.99 |  | CISO
PGZP_2_PDRP47 |  | PDR-D SCEN |  |  | Forced | 0.66 | 0.66 |  | CISO
PUTHCR_1_PCNSB1 |  | Putah Creek Solar Farm North |  |  | Forced | 3.00 | 3.00 |  | CISO
SCEC_1_PDRP109 |  | SCEC_1_PDRP109 |  |  | Forced | 9.99 | 9.99 |  | CISO
SCEC_1_PDRP134 |  | SCEC_1_PDRP134 |  |  | Forced | 0.99 | 0.99 |  | CISO
SCEC_1_PDRP138 |  | SCEC_1_PDRP138 |  |  | Forced | 0.99 | 0.99 |  | CISO
SCEC_1_PDRP160 |  | SCEC_1_PDRP160 |  |  | Forced | 9.99 | 9.99 |  | CISO
SCEC_1_PDRP161 |  | SCEC_1_PDRP161 |  |  | Forced | 9.99 | 9.99 |  | CISO
SCEC_1_PDRP163 |  | SCEC_1_PDRP163 |  |  | Forced | 9.99 | 9.99 |  | CISO
SCEN_6_PDRP59 |  | SCEN_6_PDRP59 |  |  | Forced | 9.99 | 9.99 |  | CISO
SCEN_6_PDRP62 |  | SCEN_6_PDRP62 |  |  | Forced | 9.99 | 9.99 |  | CISO
SCEN_6_PDRP65 |  | SCEN_6_PDRP65 |  |  | Forced | 9.99 | 9.99 |  | CISO
SCEW_2_PDRP106 |  | SCEW_2_PDRP106 |  |  | Forced | 9.99 | 9.99 |  | CISO
SCEW_2_PDRP107 |  | SCEW_2_PDRP107 |  |  | Forced | 0.99 | 0.99 |  | CISO
SCEW_2_PDRP108 |  | SCEW_2_PDRP108 |  |  | Forced | 0.99 | 0.99 |  | CISO
SCEW_2_PDRP109 |  | SCEW_2_PDRP109 |  |  | Forced | 0.99 | 0.99 |  | CISO
SCEW_2_PDRP110 |  | SCEW_2_PDRP110 |  |  | Forced | 0.99 | 0.99 |  | CISO
SCEW_2_PDRP111 |  | SCEW_2_PDRP111 |  |  | Forced | 0.99 | 0.99 |  | CISO
SCEW_2_PDRP112 |  | SCEW_2_PDRP112 |  |  | Forced | 0.99 | 0.99 |  | CISO
SCEW_2_PDRP117 |  | SCEW_2_PDRP117 |  |  | Forced | 0.99 | 0.99 |  | CISO
SCEW_2_PDRP123 |  | SCEW_2_PDRP123 |  |  | Forced | 9.99 | 9.99 |  | CISO
SCEW_2_PDRP131 |  | SCEW_2_PDRP131 |  |  | Forced | 0.99 | 0.99 |  | CISO
SCEW_2_PDRP172 |  | SCEW_2_PDRP172 |  |  | Forced | 0.99 | 0.99 |  | CISO
SCEW_2_PDRP173 |  | SCEW_2_PDRP173 |  |  | Forced | 0.99 | 0.99 |  | CISO
SCEW_2_PDRP174 |  | SCEW_2_PDRP174 |  |  | Forced | 0.99 | 0.99 |  | CISO
SCHD_1_PDRP48 |  | SCHD_1_PDRP48 |  |  | Forced | 0.99 | 0.99 |  | CISO
SCHD_1_PDRP61 |  | SCHD_1_PDRP61 |  |  | Forced | 9.99 | 9.99 |  | CISO
SCNW_6_PDRP40 |  | SCNW_6_PDRP40 |  |  | Forced | 0.99 | 0.99 |  | CISO
SCNW_6_PDRP41 |  | SCNW_6_PDRP41 |  |  | Forced | 9.99 | 9.99 |  | CISO
SCNW_6_PDRP51 |  | SCNW_6_PDRP51 |  |  | Forced | 0.99 | 0.99 |  | CISO
SDG1_1_PDRP100 |  | SDG1_1_PDRP100 |  |  | Forced | 0.99 | 0.99 |  | CISO
SDG1_1_PDRP101 |  | SDG1_1_PDRP101 |  |  | Forced | 0.99 | 0.99 |  | CISO
SDG1_1_PDRP102 |  | SDG1_1_PDRP102 |  |  | Forced | 0.99 | 0.99 |  | CISO
SDG1_1_PDRP103 |  | SDG1_1_PDRP103 |  |  | Forced | 0.99 | 0.99 |  | CISO
SDG1_1_PDRP105 |  | SDG1_1_PDRP105 |  |  | Forced | 0.99 | 0.99 |  | CISO
SDG1_1_PDRP84 |  | SDG1_1_PDRP84 |  |  | Forced | 0.99 | 0.99 |  | CISO
SDG1_1_PDRP85 |  | SDG1_1_PDRP85 |  |  | Forced | 9.99 | 9.99 |  | CISO
SDG1_1_PDRP88 |  | SDG1_1_PDRP88 |  |  | Forced | 0.99 | 0.99 |  | CISO
SDG1_1_PDRP91 |  | SDG1_1_PDRP91 |  |  | Forced | 0.99 | 0.99 |  | CISO
SDG1_1_PDRP97 |  | SDG1_1_PDRP97 |  |  | Forced | 0.99 | 0.99 |  | CISO
SDG1_1_PDRP98 |  | SDG1_1_PDRP98 |  |  | Forced | 0.99 | 0.99 |  | CISO
SUNCAT_2_A1ABT1 |  | Arlington Solar Unit 1A BESS |  |  | Forced | 47.00 | 47.00 |  | CISO
SUNCAT_2_A1BBT1 |  | Arlington Solar Unit 1B BESS |  |  | Forced | 63.00 | 63.00 |  | CISO
SUNCAT_2_A2ABT2 |  | Arlington Solar Unit 2A BESS |  |  | Forced | 132.00 | 116.80 |  | CISO
VESTAL_2_TS5SR1 |  | Tulare Solar 5 |  |  | Forced | 55.83 | 0.83 |  | CISO
WISTER_2_WISSR1 |  | Wister Solar |  |  | Forced | 20.00 | 4.00 |  | CISO
PGF1_2_PDRP06 |  | CBP PGF1_2_PDRP06 |  |  | Forced | 5.73 | 5.73 | PGAE Gen | CISO
PGF1_2_PDRP12 |  | CBP PGF1_2_PDRP12 |  |  | Forced | 6.02 | 6.02 | PGAE Gen | CISO
PGF1_2_PDRP14 |  | CBP PGF1_2_PDRP14 |  |  | Forced | 3.81 | 3.81 | PGAE Gen | CISO
PGF1_2_PDRP15 |  | CBP PGF1_2_PDRP15 |  |  | Forced | 0.12 | 0.12 | PGAE Gen | CISO
PGFG_1_PDRP07 |  | CBP PGFG_1_PDRP07 |  |  | Forced | 0.11 | 0.11 | PGAE Gen | CISO
PGHB_6_PDRP03 |  | CBP PGHB_6_PDRP03 |  |  | Forced | 0.86 | 0.86 | PGAE Gen | CISO
PGHB_6_PDRP03 |  | CBP PGHB_6_PDRP03 |  |  | Forced | 0.86 | 0.86 | PGAE North | CISO
PGKN_2_PDRP03 |  | CBP PGKN_2_PDRP03 |  |  | Forced | 0.30 | 0.30 | PGAE Gen | CISO
PGKN_2_PDRP04 |  | CBP PGKN_2_PDRP04 |  |  | Forced | 4.07 | 4.07 | PGAE Gen | CISO
PGKN_2_PDRP05 |  | CBP PGKN_2_PDRP05 |  |  | Forced | 1.01 | 1.01 | PGAE Gen | CISO
PGNB_2_PDRP06 |  | CBP PGNB_2_PDRP06 |  |  | Forced | 0.11 | 0.11 | PGAE Gen | CISO
PGNB_2_PDRP07 |  | CBP PGNB_2_PDRP07 |  |  | Forced | 0.11 | 0.11 | PGAE Gen | CISO
PGNB_2_PDRP08 |  | CBP PGNB_2_PDRP08 |  |  | Forced | 1.71 | 1.71 | PGAE Gen | CISO
PGNB_2_PDRP13 |  | CBP PGNB_2_PDRP13 |  |  | Forced | 0.11 | 0.11 | PGAE Gen | CISO
PGNP_2_PDRP03 |  | CBP PGNP_2_PDRP03 |  |  | Forced | 0.13 | 0.13 | PGAE Gen | CISO
PGNP_2_PDRP04 |  | CBP PGNP_2_PDRP04 |  |  | Forced | 1.43 | 1.43 | PGAE Gen | CISO
PGNP_2_PDRP05 |  | CBP PGNP_2_PDRP05 |  |  | Forced | 0.28 | 0.28 | PGAE Gen | CISO
PGNP_2_PDRP06 |  | CBP PGNP_2_PDRP06 |  |  | Forced | 1.66 | 1.66 | PGAE Gen | CISO
PGNP_2_PDRP12 |  | CBP PGNP_2_PDRP12 |  |  | Forced | 0.11 | 0.11 | PGAE Gen | CISO
PGP2_2_PDRP09 |  | CBP PGP2_2_PDRP09 |  |  | Forced | 0.11 | 0.11 | PGAE Gen | CISO
PGP2_2_PDRP12 |  | CBP PGP2_2_PDRP12 |  |  | Forced | 0.11 | 0.11 | PGAE Gen | CISO
PGSB_1_PDRP15 |  | CBP PGSB_1_PDRP15 |  |  | Forced | 0.39 | 0.39 | PGAE Gen | CISO
PGSB_1_PDRP18 |  | CBP PGSB_1_PDRP18 |  |  | Forced | 0.92 | 0.92 | PGAE Gen | CISO
PGSB_1_PDRP19 |  | CBP PGESB_1_PDRP19 |  |  | Forced | 0.17 | 0.17 | PGAE Gen | CISO
PGSF_2_PDRP13 |  | CBP PGSF_2_PDRP13 |  |  | Forced | 0.13 | 0.13 | PGAE Gen | CISO
PGSF_2_PDRP15 |  | CBP PGSF_2_PDRP15 |  |  | Forced | 0.31 | 0.31 | PGAE Gen | CISO
PGSI_1_PDRP04 |  | CBP PGSI_1_PDRP04 |  |  | Forced | 0.18 | 0.18 | PGAE Gen | CISO
PGSI_1_PDRP05 |  | CBP PGSI_1_PDRP05 |  |  | Forced | 0.12 | 0.12 | PGAE Gen | CISO
PGSI_1_PDRP08 |  | CBP PGSI_1_PDRP08 |  |  | Forced | 0.26 | 0.26 | PGAE Gen | CISO
PGSI_1_PDRP14 |  | CBP PGSI_1_PDRP14 |  |  | Forced | 0.14 | 0.14 | PGAE Gen | CISO
PGSI_1_PDRP18 |  | CBP PGSI_1_PDRP18 |  |  | Forced | 0.51 | 0.51 | PGAE Gen | CISO
PGST_2_PDRP02 |  | CBP PGST_2_PDRP02 |  |  | Forced | 0.18 | 0.18 | PGAE Gen | CISO
PGST_2_PDRP04 |  | CBP PGST_2_PDRP04 |  |  | Forced | 0.70 | 0.70 | PGAE Gen | CISO
PGST_2_PDRP06 |  | CBP PGST_2_PDRP06 |  |  | Forced | 2.11 | 2.11 | PGAE Gen | CISO
PGZP_2_PDRP01 |  | CBP PGZP_2_PDRP01 |  |  | Forced | 1.98 | 1.98 | PGAE Gen | CISO
PGZP_2_PDRP03 |  | CBP PGZP_2_PDRP03 |  |  | Forced | 6.22 | 6.22 | PGAE Gen | CISO
PGZP_2_PDRP04 |  | CBP PGZP_2_PDRP04 |  |  | Forced | 5.70 | 5.70 | PGAE Gen | CISO
PGZP_2_PDRP05 |  | CBP PGZP_2_PDRP05 |  |  | Forced | 2.01 | 2.01 | PGAE Gen | CISO
PINFLT_7_UNITS |  | PINE FLAT HYDRO AGGREGATE |  |  | Forced | 198.51 | 198.51 | PGAE Gen | CISO
PIOPIC_2_CTG1 |  | Pio Pico Unit 1 |  |  | Forced | 111.30 | 13.65 | SDGE Gen | CISO
PIOPIC_2_CTG2 |  | Pio Pico Unit 2 |  |  | Forced | 112.70 | 13.13 | SDGE Gen | CISO
PIOPIC_2_CTG3 |  | Pio Pico Unit 3 |  |  | Forced | 112.00 | 13.39 | SDGE Gen | CISO
PIT6_7_UNIT 2 |  | PIT PH 6 UNIT 2 |  |  | Forced | 40.00 | 0.04 | PGAE North | CISO
PIT7_7_UNIT 1 |  | PIT PH 7 UNIT 1 |  |  | Forced | 55.70 | 1.58 | PGAE North | CISO
PIT7_7_UNIT 2 |  | PIT PH 7 UNIT 2 |  |  | Forced | 54.60 | 0.48 | PGAE North | CISO
PLAINV_6_BSOLAR |  | Western Antelope Blue Sky Ranch A |  |  | Forced | 20.00 | 1.00 | SCE Gen | CISO
PLAINV_6_NLRSR1 |  | North Lancaster Ranch |  |  | Forced | 20.00 | 3.00 | SCE Gen | CISO
PLAINV_6_SOLAR3 |  | Sierra Solar Greenworks LLC |  |  | Forced | 20.00 | 1.50 | SCE Gen | CISO
PNCHEG_2_PL1X4 |  | PANOCHE ENERGY CENTER (Aggregated) |  |  | Forced | 417.00 | 111.00 | PGAE Gen | CISO
PNCHPP_1_PL1X2 |  | Midway Peaking Aggregate |  |  | Forced | 119.91 | 7.91 | PGAE Gen | CISO
PNOCHE_1_PL1X2 |  | Panoche Peaker |  |  | Forced | 49.97 | 1.41 | PGAE South | CISO
POEPH_7_UNIT 1 |  | POE HYDRO UNIT 1 |  |  | Forced | 68.00 | 54.60 | PGAE North | CISO
POEPH_7_UNIT 2 |  | POE HYDRO UNIT 2 |  |  | Forced | 68.50 | 65.50 | PGAE North | CISO
POTTER_6_UNITS |  | Potter Valley |  |  | Forced | 10.10 | 10.10 | PGAE North | CISO
PWEST_1_UNIT |  | PACIFIC WEST 1 WIND GENERATION |  |  | Forced | 2.10 | 2.10 | SCE Gen | CISO
RAMON_2_SCEDYN |  | RAMON_2_SCEDYN |  |  | Forced | 106.18 | 44.18 | SCE Gen | CISO
RCKCRK_7_UNIT 2 |  | ROCK CREEK HYDRO UNIT 2 |  |  | Forced | 56.90 | 56.90 | PGAE North | CISO
RECTOR_2_KAWEAH |  | KAWEAH PH 2 &amp; 3 PSP AGGREGATE |  |  | Planned/Forced | 6.55 | 6.55 | SCE Gen | CISO
RECTOR_2_KAWH 1 |  | KAWEAH PH 1 UNIT 1 |  |  | Forced | 2.25 | 2.25 | SCE Gen | CISO
REDOND_7_UNIT 5 |  | REDONDO GEN STA. UNIT 5 |  |  | Forced | 178.87 | 68.87 | SCE Gen | CISO
REDOND_7_UNIT 6 |  | REDONDO GEN STA. UNIT 6 |  |  | Forced | 174.29 | 19.29 | SCE Gen | CISO
REDOND_7_UNIT 8 |  | REDONDO GEN STA. UNIT 8 |  |  | Forced | 480.00 | 42.00 | SCE Gen | CISO
RICHMN_7_BAYENV |  | BAY ENVIRONMENTAL (NOVE POWER) |  |  | Forced | 2.50 | 2.50 | PGAE Gen | CISO
RIOBRV_6_UNIT 1 |  | RIO BRAVO HYDRO |  |  | Forced | 14.00 | 14.00 | PGAE Gen | CISO
ROSMDW_2_WIND1 |  | Pacific Wind - Phase 1 |  |  | Forced | 140.00 | 6.00 | SCE Gen | CISO
RUSCTY_2_UNITS |  | Russell City Energy Center |  |  | Forced | 615.18 | 10.18 | PGAE South | CISO
RVSIDE_6_SPRING |  | SPRINGS GENERATION PROJECT AGGREGATE |  |  | Forced | 36.00 | 11.00 | SCE Gen | CISO
SALIRV_2_UNIT |  | Salinas River Cogeneration |  |  | Planned/Forced | 39.00 | 39.00 | PGAE South | CISO
ADLIN_1_UNITS |  | GEYSERS AIDLIN AGGREGATE |  |  | Forced | 22.00 | 11.00 | PGAE Gen | CISO
AGRICO_6_PL3N5 |  | Fresno Peaker |  |  | Forced | 22.69 | 0.71 | PGAE South | CISO
ALAMIT_2_PL1X3 |  | Alamitos Energy Center Unit 7 |  |  | Forced | 674.70 | 15.70 | SCE Gen | CISO
ALAMIT_7_ES1 |  | Alamitos Energy Storage |  |  | Forced | 100.45 | 19.45 | SCE Gen | CISO
ALAMIT_7_UNIT 3 |  | ALAMITOS GEN STA. UNIT 3 |  |  | Forced | 326.76 | 96.76 | SCE Gen | CISO
ALAMIT_7_UNIT 4 |  | ALAMITOS GEN STA. UNIT 4 |  |  | Forced | 334.43 | 34.43 | SCE Gen | CISO
ALAMIT_7_UNIT 5 |  | ALAMITOS GEN STA. UNIT 5 |  |  | Forced | 480.00 | 30.00 | SCE Gen | CISO
ALMEGT_1_UNIT 1 |  | ALAMEDA GT UNIT 1 |  |  | Forced | 25.00 | 2.00 | PGAE South | CISO
ALMEGT_1_UNIT 2 |  | ALAMEDA GT UNIT 2 |  |  | Forced | 25.00 | 2.00 | PGAE South | CISO
ALTA3A_2_CPCE4 |  | Alta Wind 4 |  |  | Forced | 102.00 | 9.00 | SCE Gen | CISO
ALTA3A_2_CPCE5 |  | Alta Wind 5 |  |  | Forced | 168.00 | 15.00 | SCE Gen | CISO
ALTA3A_2_CPCE8 |  | Alta Wind 8 |  |  | Forced | 150.00 | 21.00 | SCE Gen | CISO
ALTA4A_2_CPCW1 |  | Alta Wind 1 |  |  | Forced | 150.00 | 1.50 | SCE Gen | CISO
ALTA4B_2_CPCW2 |  | Alta Wind 2 |  |  | Forced | 150.00 | 3.00 | SCE Gen | CISO
ALTA4B_2_CPCW3 |  | Alta Wind 3 |  |  | Forced | 150.00 | 3.00 | SCE Gen | CISO
ALTA6B_2_WIND11 |  | Alta Wind 11 |  |  | Forced | 88.15 | 0.20 | SCE Gen | CISO
AQUAWS_2_AQWSR1 |  | Aquamarine Westside |  |  | Forced | 250.00 | 3.00 | PGAE Gen | CISO
ARCOGN_2_UNITS |  | WATSON COGENERATION |  |  | Forced | 305.00 | 140.00 | SCE Gen | CISO
BARRE_6_PEAKER |  | Barre Peaker |  |  | Forced | 49.00 | 4.09 | SCE Gen | CISO
BDGRCK_1_UNITS |  | BADGER CREEK LIMITED |  |  | Forced | 48.08 | 2.08 | PGAE South | CISO
BEARMT_1_UNIT |  | Bear Mountain Limited |  |  | Forced | 49.21 | 3.21 | PGAE Gen | CISO
BELDEN_7_UNIT 1 |  | BELDEN HYDRO |  |  | Forced | 119.00 | 39.00 | PGAE Gen | CISO
BGSKYN_2_AS2SR1 |  | Antelope Solar 2 |  |  | Forced | 105.00 | 6.00 | SCE Gen | CISO
BGSKYN_2_ASPSR2 |  | Antelope Solar 2 San Pablo |  |  | Forced | 100.00 | 23.00 | SCE Gen | CISO
BGSKYN_2_BS3SR3 |  | Big Sky Solar 3 |  |  | Forced | 20.00 | 20.00 | SCE Gen | CISO
BIGCRK_2_EXESWD |  | BIG CREEK HYDRO PROJECT PSP |  |  | Planned/Forced | 820.00 | 145.00 | SCE Gen | CISO
BIGSKY_2_SOLAR1 |  | Antelope Big Sky Ranch |  |  | Forced | 20.00 | 3.00 | SCE Gen | CISO
BIGSKY_2_SOLAR6 |  | Solverde 1 |  |  | Forced | 85.00 | 9.00 | SCE Gen | CISO
BISHOP_1_ALAMO |  | BISHOP CREEK PLANT 2 AND 6 |  |  | Planned/Forced | 13.40 | 8.80 | SCE Gen | CISO
BISHOP_1_UNITS |  | BISHOP CREEK PLANT 3 AND 4 |  |  | Forced | 15.80 | 8.30 | SCE Gen | CISO
BLCKBT_2_STONEY |  | BLACK BUTTE HYDRO |  |  | Forced | 6.20 | 6.20 | PGAE Gen | CISO
BLKDIA_2_BDEBT1 |  | Black Diamond Energy Storage |  |  | Forced | 200.00 | 32.00 | PGAE Gen | CISO
BLM W_2_COSBT1 |  | Coso Battery Storage |  |  | Forced | 60.00 | 7.75 | SCE Gen | CISO
BOGUE_1_UNITA1 |  | Feather River Energy Center, Unit #1 |  |  | Forced | 47.38 | 15.38 | PGAE Gen | CISO
BOGUE_1_UNITA1 |  | Feather River Energy Center, Unit #1 |  |  | Forced | 47.38 | 15.38 | PGAE North | CISO
BRDSLD_2_HIWIND |  | High Winds Energy Center |  |  | Forced | 162.00 | 59.40 | PGAE Gen | CISO
BRDSLD_2_SHILO2 |  | SHILOH WIND PROJECT 2 |  |  | Forced | 150.00 | 6.00 | PGAE Gen | CISO
BRDSLD_2_SHLO3A |  | Shiloh III Wind Project, LLC |  |  | Forced | 102.50 | 4.10 | PGAE Gen | CISO
BRODIE_2_WIND |  | Coram Brodie Wind Project |  |  | Forced | 102.00 | 6.00 | SCE Gen | CISO
BUCKCK_7_OAKFLT |  | Oak Flat |  |  | Forced | 1.30 | 1.30 | PGAE Gen | CISO
BUCKCK_7_PL1X2 |  | BUCKS CREEK AGGREGATE |  |  | Planned | 57.25 | 24.25 | PGAE Gen | CISO
BUCKWD_1_QF |  | Buckwind Re-powering project |  |  | Forced | 16.50 | 1.50 | SCE Gen | CISO
BUCKWD_7_WINTCV |  | Wintec Energy, Ltd. |  |  | Forced | 1.32 | 0.66 | SCE Gen | CISO
BUTTVL_7_UNIT 1 |  | BUTT VALLEY HYDRO |  |  | Forced | 39.50 | 0.50 | PGAE North | CISO
CABALO_2_M2WSR2 |  | Mustang 2 Whirlaway Solar |  |  | Planned/Forced | 100.00 | 46.00 | PGAE Gen | CISO
CALFTS_2_CFSSR1 |  | California Flats Solar South |  |  | Forced | 150.00 | 6.00 | PGAE Gen | CISO
CAMCHE_1_PL1X3 |  | CAMANCHE UNITS 1, 2 &amp; 3 AGGREGATE |  |  | Planned/Forced | 9.99 | 9.18 | PGAE Gen | CISO
CARBOU_7_PL4X5 |  | CARIBOU PH 2 UNIT 4 &amp; 5 AGGREGATE |  |  | Forced | 120.00 | 22.00 | PGAE North | CISO
CARBOU_7_UNIT 1 |  | CARIBOU PH 1 UNIT 1 |  |  | Planned/Forced | 24.00 | 24.00 | PGAE North | CISO
CARLS1_2_CARCT1 |  | Carlsbad 1 |  |  | Forced | 422.00 | 36.10 | SDGE Gen | CISO
LAMONT_1_SOLAR3 |  | Woodmere Solar Farm |  |  | Forced | 14.99 | 1.49 | PGAE Gen | CISO
LAMONT_1_SOLAR4 |  | Hayworth Solar Farm |  |  | Forced | 26.66 | 1.66 | PGAE South | CISO
LAMONT_1_SOLAR5 |  | Redcrest Solar Farm |  |  | Forced | 16.66 | 8.16 | PGAE Gen | CISO
LAPLMA_2_UNIT 1 |  | La Paloma Generating Plant Unit #1 |  |  | Forced | 267.00 | 23.00 | PGAE Gen | CISO
LAPLMA_2_UNIT 2 |  | La Paloma Generating Plant Unit #2 |  |  | Forced | 266.00 | 28.00 | PGAE Gen | CISO
LAPLMA_2_UNIT 3 |  | La Paloma Generating Plant Unit #3 |  |  | Forced | 266.00 | 14.00 | PGAE Gen | CISO
LAPLMA_2_UNIT 4 |  | LA PALOMA GENERATING PLANT, UNIT #4 |  |  | Forced | 267.00 | 30.00 | PGAE Gen | CISO
LARKSP_6_UNIT 1 |  | LARKSPUR PEAKER UNIT 1 |  |  | Forced | 49.00 | 3.20 | SDGE Gen | CISO
LARKSP_6_UNIT 2 |  | LARKSPUR PEAKER UNIT 2 |  |  | Forced | 49.00 | 2.90 | SDGE Gen | CISO
LAROA2_2_UNITA1 |  | LR2 |  |  | Forced | 322.00 | 17.00 | SDGE Gen | CISO
LEBECS_2_UNITS |  | Pastoria Energy Facility |  |  | Forced | 799.47 | 5.47 | SCE Gen | CISO
LECEF_1_UNITS |  | LOS ESTEROS ENERGY FACILITY AGGREGATE |  |  | Forced | 309.84 | 11.84 | PGAE South | CISO
LEPRFD_1_KANSAS |  | Kansas |  |  | Forced | 20.00 | 1.50 | PGAE Gen | CISO
LITLRK_6_GBCSR1 |  | Green Beanworks C |  |  | Forced | 3.00 | 3.00 | SCE Gen | CISO
LITLRK_6_SOLAR1 |  | Lancaster Little Rock C |  |  | Forced | 5.00 | 5.00 | SCE Gen | CISO
LITLRK_6_SOLAR2 |  | Palmdale 18 |  |  | Forced | 2.00 | 2.00 | SCE Gen | CISO
LIVOAK_1_UNIT 1 |  | LIVE OAK LIMITED |  |  | Forced | 49.70 | 7.70 | PGAE South | CISO
LMBEPK_2_UNITA1 |  | Lambie Energy Center, Unit #1 |  |  | Forced | 47.50 | 2.50 | PGAE Gen | CISO
LMBEPK_2_UNITA2 |  | Creed Energy Center, Unit #1 |  |  | Forced | 47.60 | 1.60 | PGAE Gen | CISO
LMEC_1_PL1X3 |  | Los Medanos Energy Center AGGREGATE |  |  | Forced | 580.00 | 23.00 | PGAE Gen | CISO
LODI25_2_UNIT 1 |  | LODI GAS TURBINE |  |  | Forced | 25.00 | 4.00 | PGAE Gen | CISO
LODIEC_2_PL1X2 |  | Lodi Energy Center |  |  | Forced | 302.58 | 62.58 | PGAE Gen | CISO
LOWGAP_7_QFUNTS |  | Matthews Dam Hydro |  |  | Forced | 1.35 | 1.15 | PGAE North | CISO
MAGNLA_6_CERRITOS |  | Magnolia Power Plant Cerritos |  |  | Planned/Forced | 12.00 | 2.00 | SCE Gen | CISO
MAGNLA_6_COLTON |  | Magnolia Power Project |  |  | Planned/Forced | 12.00 | 2.00 | SCE Gen | CISO
MANZNA_2_WIND |  | Manzana Wind |  |  | Forced | 189.00 | 12.00 | SCE Gen | CISO
MDFKRL_2_PROJCT |  | MIDDLE FORK AND RALSTON PSP |  |  | Forced | 210.00 | 210.00 | PGAE North | CISO
METEC_2_PL1X3 |  | Metcalf Energy Center |  |  | Forced | 597.05 | 35.05 | PGAE Gen | CISO
MIDWY3_2_MDSSR1 |  | Midway South Solar Farm |  |  | Forced | 20.00 | 3.00 | SCE Gen | CISO
MIRLOM_2_ONTARO |  | Ontario RT Solar |  |  | Forced | 5.50 | 5.50 | SCE Gen | CISO
MIRLOM_6_PEAKER |  | Mira Loma Peaker |  |  | Forced | 47.18 | 2.66 | SCE Gen | CISO
MKTRCK_1_UNIT 1 |  | MCKITTRICK LIMITED |  |  | Forced | 47.49 | 10.49 | PGAE South | CISO
MNDALY_6_MCGRTH |  | McGrath Beach Peaker |  |  | Forced | 48.56 | 5.64 | SCE Gen | CISO
MOSSLD_2_PSP1 |  | MOSS LANDING POWER BLOCK 1 |  |  | Forced | 510.00 | 6.00 | PGAE South | CISO
MOSSLD_2_PSP2 |  | MOSS LANDING POWER BLOCK 2 |  |  | Forced | 510.00 | 10.00 | PGAE South | CISO
MRCHNT_2_PL1X3 |  | Desert Star Energy Center |  |  | Forced | 494.58 | 44.58 | SDGE Gen | CISO
MRGT_6_TGEBT1 |  | Top Gun Energy Storage |  |  | Forced | 30.00 | 12.00 | SDGE Gen | CISO
MSOLAR_2_SOLAR1 |  | Mesquite Solar 1 |  |  | Planned | 165.00 | 10.50 | SDGE Gen | CISO
NAROW1_2_UNIT |  | NARROWS PH 1 UNIT |  |  | Forced | 12.00 | 1.60 | PGAE North | CISO
NAROW2_2_UNIT |  | Narrows Powerhouse Unit 2 |  |  | Forced | 55.00 | 48.80 | PGAE North | CISO
NCPA_7_GP2UN3 |  | NCPA GEO PLANT 2 UNIT 3 |  |  | Forced | 42.42 | 42.42 | PGAE Gen | CISO
NWCSTL_7_UNIT 1 |  | NEWCASTLE HYDRO |  |  | Forced | 12.00 | 12.00 | PGAE Gen | CISO
OAK C_7_UNIT 1 |  | OAKLAND STATION C GT UNIT 1 |  |  | Forced | 55.00 | 28.00 | PGAE South | CISO
OAK C_7_UNIT 3 |  | OAKLAND STATION C GT UNIT 3 |  |  | Forced | 55.00 | 1.00 | PGAE South | CISO
OASIS_6_SOLAR2 |  | Oasis Solar |  |  | Forced | 20.00 | 4.00 | SCE Gen | CISO
OCTILO_5_WIND |  | Ocotillo Wind Energy Facility |  |  | Forced | 265.00 | 72.00 | SDGE Gen | CISO
OILFLD_7_QFUNTS |  | Nacimiento Hydroelectric Plant |  |  | Forced | 3.80 | 3.80 | PGAE South | CISO
OLINDA_2_COYCRK |  | MWD Coyote Creek Hydroelectric Recovery |  |  | Forced | 3.13 | 3.13 | SCE Gen | CISO
OLINDA_2_LNDFL2 |  | Brea Power II |  |  | Forced | 28.10 | 5.10 | SCE Gen | CISO
ORLND_6_HIGHLI |  | High Line Canal Hydro |  |  | Forced | 0.50 | 0.50 | PGAE Gen | CISO
ORMOND_7_UNIT 1 |  | ORMOND BEACH GEN STA. UNIT 1 |  |  | Forced | 741.27 | 86.27 | SCE Gen | CISO
ORMOND_7_UNIT 2 |  | ORMOND BEACH GEN STA. UNIT 2 |  |  | Forced | 750.00 | 70.00 | SCE Gen | CISO
OROVIL_6_UNIT |  | Oroville Cogeneration, LP |  |  | Forced | 7.50 | 7.50 | PGAE Gen | CISO
OTMESA_2_PL1X3 |  | OTAY MESA ENERGY CENTER |  |  | Forced | 603.68 | 70.68 | SDGE Gen | CISO
OXBOW_6_DRUM |  | OXBOW HYDRO |  |  | Forced | 5.80 | 5.80 | PGAE North | CISO
OXMTN_6_LNDFIL |  | Ox Mountain Landfill Generating Plant |  |  | Forced | 10.62 | 1.22 | PGAE South | CISO
PACLUM_6_UNIT |  | Humboldt Redwood |  |  | Forced | 28.80 | 6.80 | PGAE Gen | CISO
PACLUM_6_UNIT |  | Humboldt Redwood |  |  | Forced | 28.80 | 6.80 | PGAE North | CISO
PADUA_2_ONTARO |  | ONTARIO/SIERRA HYDRO PSP |  |  | Planned/Forced | 1.92 | 1.32 | SCE Gen | CISO
PALALT_7_COBUG |  | Cooperatively Owned Back Up Generator |  |  | Forced | 4.50 | 4.50 | PGAE Gen | CISO
PALOMR_2_PL1X3 |  | Palomar Energy Center |  |  | Forced | 588.21 | 33.21 | SDGE Gen | CISO
PARDEB_6_UNITS |  | Pardee Power House |  |  | Forced | 30.00 | 30.00 | PGAE Gen | CISO
PGCC_1_PDRP06 |  | CBP PGCC_1_PDRP06 |  |  | Forced | 0.34 | 0.34 | PGAE Gen | CISO
PGCC_1_PDRP07 |  | CBP PGCC_1_PDRP07 |  |  | Forced | 0.13 | 0.13 | PGAE Gen | CISO
PGCC_1_PDRP09 |  | CBP PGCC_1_PDRP09 |  |  | Forced | 1.21 | 1.21 | PGAE Gen | CISO
PGEB_2_PDRP12 |  | CBP PGEB_2_PDRP12 |  |  | Forced | 0.29 | 0.29 | PGAE Gen | CISO
PGEB_2_PDRP13 |  | CBP PGEB_2_PDRP13 |  |  | Forced | 0.78 | 0.78 | PGAE Gen | CISO
PGEB_2_PDRP14 |  | CBP PGEB_2_PDRP14 |  |  | Forced | 0.33 | 0.33 | PGAE Gen | CISO
PGEB_2_PDRP16 |  | CBP PGEB_2_PDRP16 |  |  | Forced | 0.36 | 0.36 | PGAE Gen | CISO
PGF1_2_PDRP05 |  | CBP PGF1_2_PDRP05 |  |  | Forced | 1.17 | 1.17 | PGAE Gen | CISO
VALLEY_5_PERRIS |  | MWD Perris Hydroelectric Recovery Plant |  |  | Forced | 7.94 | 7.94 | SCE Gen | CISO
VALLEY_5_REDMTN |  | MWD Red Mountain Hydroelectric Recovery |  |  | Forced | 5.90 | 5.90 | SCE Gen | CISO
VEDDER_1_SEKERN |  | TEXACO EXPLORATION &amp; PROD (SE KERN RIVER |  |  | Forced | 34.47 | 12.47 | PGAE Gen | CISO
VERNON_6_GONZL1 |  | H. Gonzales Unit #1 |  |  | Forced | 5.75 | 5.75 | SCE Gen | CISO
VESTAL_2_KERN |  | KERN RIVER PH 3 UNITS 1 &amp; 2 AGGREGATE |  |  | Planned/Forced | 36.80 | 36.80 | SCE Gen | CISO
VESTAL_2_SOLAR2 |  | TROPICO |  |  | Forced | 14.00 | 14.00 | SCE Gen | CISO
VESTAL_6_QF |  | Isabella Hydro Dam 1 |  |  | Forced | 11.95 | 11.95 | SCE Gen | CISO
VILLPK_2_VALLYV |  | MWD Valley View Hydroelectric Recovery P |  |  | Forced | 4.10 | 4.10 | SCE Gen | CISO
VISTRA_5_DALBT1 |  | Dallas Energy Storage |  |  | Forced | 100.00 | 8.00 | PGAE Gen | CISO
VISTRA_5_DALBT2 |  | Dallas Energy Storage 2 |  |  | Forced | 100.00 | 3.00 | PGAE Gen | CISO
VOLTA_2_UNIT 1 |  | VOLTA HYDRO UNIT 1 |  |  | Forced | 9.10 | 9.10 | PGAE North | CISO
VOLTA_6_BAILCK |  | Bailey Creek Ranch |  |  | Forced | 0.63 | 0.63 | PGAE Gen | CISO
VOLTA_7_PONHY1 |  | Ponderosa Bailey Hydroelectric |  |  | Forced | 1.25 | 1.25 | PGAE Gen | CISO
WALCRK_2_CTG4 |  | Walnut Creek Energy Park Unit 4 |  |  | Forced | 96.60 | 96.60 | SCE Gen | CISO
WFRESN_1_SOLAR |  | Joya Del Sol |  |  | Forced | 1.50 | 1.50 | PGAE Gen | CISO
WHTWTR_1_WINDA1 |  | Whitewater Hill Wind Project |  |  | Forced | 61.50 | 11.50 | SCE Gen | CISO
WISE_1_UNIT 2 |  | WISE HYDRO UNIT 2 |  |  | Forced | 3.20 | 3.20 | PGAE North | CISO
WISHON_6_UNITS |  | Wishon/San Joaquin #1-A AGGREGATE |  |  | Planned/Forced | 18.40 | 18.40 | PGAE Gen | CISO
WNDMAS_2_UNIT 1 |  | BUENA VISTA ENERGY, LLC |  |  | Forced | 38.00 | 1.00 | PGAE Gen | CISO
WRGTSR_2_WSFSR1 |  | Wright Solar Freeman |  |  | Forced | 200.00 | 6.00 | PGAE Gen | CISO
YUBACT_1_SUNSWT |  | YUBA CITY COGEN |  |  | Forced | 49.97 | 4.97 | PGAE Gen | CISO
YUBACT_1_SUNSWT |  | YUBA CITY COGEN |  |  | Forced | 49.97 | 4.97 | PGAE North | CISO
YUBACT_6_UNITA1 |  | Yuba City Energy Center (Calpine) |  |  | Forced | 47.16 | 2.16 | PGAE Gen | CISO
YUBACT_6_UNITA1 |  | Yuba City Energy Center (Calpine) |  |  | Forced | 47.16 | 2.16 | PGAE North | CISO
ZOND_6_UNIT |  | ZOND WINDSYSTEMS INC. |  |  | Forced | 17.10 | 17.10 | PGAE Gen | CISO
BIGSKY_2_AS2BT1 |  | Antelope Solar 2 LAB |  |  | Forced | 127.00 | 127.00 |  | CISO
CASADB_1_CD4GT1 |  | Casa Diablo 4 |  |  | Forced | 40.00 | 11.58 |  | CISO
CENTPD_2_BMSSX2 |  | Blythe Mesa Solar |  |  | Forced | 223.60 | 223.60 |  | CISO
CENTPD_2_BMSX2 |  | Blythe Mesa Solar 2 BESS |  |  | Forced | 112.00 | 112.00 |  | CISO
CRIMSN_2_CRMBT1 |  | Crimson |  |  | Forced | 200.00 | 200.00 |  | CISO
CRIMSN_2_CRMBT2 |  | Crimson 2 |  |  | Forced | 150.00 | 150.00 |  | CISO
DRACKR_2_DSUBT4 |  | Dracker Solar Unit 4 BESS |  |  | Planned | 47.00 | 47.00 |  | CISO
DSRTSN_2_DS2X2 |  | Desert Sunlight PV II Storage |  |  | Forced | 230.00 | 227.00 |  | CISO
GOLETA_6_TR2BM2 |  | Tajiguas Biogas Engines |  |  | Forced | 1.99 | 1.99 |  | CISO
LECONT_2_LESBT1 |  | LeConte Energy Storage |  |  | Forced | 125.00 | 45.00 |  | CISO
OTAY_6_ECVBT2 |  | Chula Vista 2 |  |  | Forced | 3.00 | 3.00 |  | CISO
PGCC_1_PDRP16 |  | PGCC_1_PDRP16 |  |  | Forced | 0.99 | 0.99 |  | CISO
PGCC_1_PDRP19 |  | PGCC_1_PDRP19 |  |  | Forced | 0.99 | 0.99 |  | CISO
PGCC_1_PDRP20 |  | PGCC_1_PDRP20 |  |  | Forced | 9.99 | 9.99 |  | CISO
PGCC_1_PDRP37 |  | PDR-D PGCC |  |  | Forced | 0.66 | 0.66 |  | CISO
PGEB_2_PDRP106 |  | PDR-D PGEB |  |  | Forced | 4.22 | 4.22 |  | CISO
PGEB_2_PDRP60 |  | PGEB_2_PDRP60 |  |  | Forced | 9.99 | 9.99 |  | CISO
PGEB_2_PDRP62 |  | PGEB_2_PDRP62 |  |  | Forced | 9.99 | 9.99 |  | CISO
PGEB_2_PDRP67 |  | PGEB_2_PDRP67 |  |  | Forced | 9.99 | 9.99 |  | CISO
PGEB_2_PDRP68 |  | PGEB_2_PDRP68 |  |  | Forced | 9.99 | 9.99 |  | CISO
PGEB_2_PDRP69 |  | PGEB_2_PDRP69 |  |  | Forced | 9.99 | 9.99 |  | CISO
PGF1_2_PDRP102 |  | PDR-D PGF1 |  |  | Forced | 3.74 | 3.74 |  | CISO
PGF1_2_PDRP60 |  | PGF1_2_PDRP60 |  |  | Forced | 9.99 | 9.99 |  | CISO
PGF1_2_PDRP61 |  | PGF1_2_PDRP61 |  |  | Forced | 9.99 | 9.99 |  | CISO
PGF1_2_PDRP63 |  | PGF1_2_PDRP63 |  |  | Forced | 9.99 | 9.99 |  | CISO
PGF1_2_PDRP74 |  | PGF1_2_PDRP74 |  |  | Forced | 9.99 | 9.99 |  | CISO
PGF1_2_PDRP75 |  | PGF1_2_PDRP75 |  |  | Forced | 9.99 | 9.99 |  | CISO
PGFG_1_PDRP20 |  | PGFG_1_PDRP20 |  |  | Forced | 0.99 | 0.99 |  | CISO
PGFG_1_PDRP39 |  | PDR-D PGFG |  |  | Forced | 0.60 | 0.60 |  | CISO
PGHB_6_PDRP11 |  | PGHB_6_PDRP11 |  |  | Forced | 0.99 | 0.99 |  | CISO
PGKN_2_PDRP24 |  | PGKN_2_PDRP24 |  |  | Forced | 9.99 | 9.99 |  | CISO
PGKN_2_PDRP45 |  | PDR-D PGKN |  |  | Forced | 1.85 | 1.85 |  | CISO
PGNB_2_PDRP19 |  | PGNB_2_PDRP19 |  |  | Forced | 0.99 | 0.99 |  | CISO
PGNB_2_PDRP20 |  | PGNB_2_PDRP20 |  |  | Forced | 0.99 | 0.99 |  | CISO
PGNB_2_PDRP21 |  | PGNB_2_PDRP21 |  |  | Forced | 0.99 | 0.99 |  | CISO
PGNB_2_PDRP25 |  | PGNB_2_PDRP25 |  |  | Forced | 0.99 | 0.99 |  | CISO
PGNB_2_PDRP39 |  | PDR-D PGNB |  |  | Forced | 1.43 | 1.43 |  | CISO
PGNC_1_PDRP09 |  | PGNC_1_PDRP09 |  |  | Forced | 0.99 | 0.99 |  | CISO
PGNC_1_PDRP17 |  | PGNC_1_PDRP17 |  |  | Forced | 0.99 | 0.99 |  | CISO
PGNP_2_PDRP30 |  | PGNP_2_PDRP30 |  |  | Forced | 0.99 | 0.99 |  | CISO
PGNP_2_PDRP31 |  | PGNP_2_PDRP31 |  |  | Forced | 0.99 | 0.99 |  | CISO
PGNP_2_PDRP34 |  | PGNP_2_PDRP34 |  |  | Forced | 0.99 | 0.99 |  | CISO
PGNP_2_PDRP40 |  | PGNP_2_PDRP40 |  |  | Forced | 0.99 | 0.99 |  | CISO
PGNP_2_PDRP41 |  | PGNP_2_PDRP41 |  |  | Forced | 0.99 | 0.99 |  | CISO
PGNP_2_PDRP42 |  | PGNP_2_PDRP42 |  |  | Forced | 0.99 | 0.99 |  | CISO
PGNP_2_PDRP51 |  | PDR-D PGNP |  |  | Forced | 2.55 | 2.55 |  | CISO
PGP2_2_PDRP35 |  | PGP2_2_PDRP35 |  |  | Forced | 9.99 | 9.99 |  | CISO
PGP2_2_PDRP59 |  | PDR-D PGSB |  |  | Forced | 1.04 | 1.04 |  | CISO
PGP2_2_PDRP65 |  | PGP2_2_PDRP65 |  |  | Forced | 9.99 | 9.99 |  | CISO
PGSB_1_PDRP100 |  | PDR-D PGSI |  |  | Forced | 2.94 | 2.94 |  | CISO
PGSB_1_PDRP60 |  | PGSB_1_PDRP60 |  |  | Forced | 9.99 | 9.99 |  | CISO
PGSB_1_PDRP64 |  | PGSB_1_PDRP64 |  |  | Forced | 0.99 | 0.99 |  | CISO
PGSB_1_PDRP66 |  | PGSB_1_PDRP66 |  |  | Forced | 9.99 | 9.99 |  | CISO
PGSB_1_PDRP67 |  | PGSB_1_PDRP67 |  |  | Forced | 9.99 | 9.99 |  | CISO
CENTER_2_RHONDO |  | MWD Rio Hondo Hydroelectric Recovery Pla |  |  | Forced | 1.91 | 1.31 | SCE Gen | CISO
CENTRY_6_PL1X4 |  | CENTURY GENERATING PLANT (AGGREGATE) |  |  | Forced | 41.40 | 7.40 | SCE Gen | CISO
CHALK_1_UNIT |  | CHALK CLIFF LIMITED |  |  | Forced | 48.67 | 2.97 | PGAE Gen | CISO
CHEVMN_2_UNITS |  | CHEVRON U.S.A. UNITS 1 &amp; 2 AGGREGATE |  |  | Forced | 124.87 | 124.87 | SCE Gen | CISO
CHICPK_7_UNIT 1 |  | Chicago Park Powerhouse |  |  | Forced | 42.00 | 42.00 | PGAE North | CISO
CHWCHL_1_BIOMAS |  | Chow II Biomass to Energy |  |  | Forced | 10.80 | 10.80 | PGAE South | CISO
CHWCHL_1_UNIT |  | CHOW 2 PEAKER PLANT |  |  | Forced | 48.60 | 6.40 | PGAE Gen | CISO
CLOVDL_1_SOLAR |  | Cloverdale Solar I |  |  | Forced | 1.50 | 1.50 | PGAE Gen | CISO
COCOPP_2_CTG1 |  | Marsh Landing 1 |  |  | Forced | 204.20 | 8.77 | PGAE South | CISO
COCOPP_2_CTG2 |  | Marsh Landing 2 |  |  | Forced | 202.70 | 8.04 | PGAE South | CISO
COCOPP_2_CTG3 |  | Marsh Landing 3 |  |  | Forced | 208.96 | 15.08 | PGAE South | CISO
COCOPP_2_CTG4 |  | Marsh Landing 4 |  |  | Forced | 204.29 | 9.06 | PGAE South | CISO
COLEMN_2_UNIT |  | Coleman |  |  | Forced | 13.00 | 13.00 | PGAE North | CISO
COLGAT_7_UNIT 1 |  | Colgate Powerhouse Unit 1 |  |  | Forced | 176.72 | 23.72 | PGAE North | CISO
COLGAT_7_UNIT 2 |  | Colgate Powerhouse Unit 2 |  |  | Forced | 175.67 | 22.67 | PGAE North | CISO
COLTON_6_AGUAM1 |  | AGUA MANSA UNIT 1 (CITY OF COLTON) |  |  | Forced | 43.00 | 2.00 | SCE Gen | CISO
COLUSA_2_PL1X3 |  | Colusa Generating Station |  |  | Forced | 641.00 | 27.10 | PGAE North | CISO
CONTRL_1_LUNDY |  | LUNDY |  |  | Forced | 3.00 | 2.62 | SCE Gen | CISO
CONTRL_1_OXBOW |  | Dixie Valley Geo |  |  | Forced | 60.00 | 4.00 | SCE Gen | CISO
CONTRL_1_POOLE |  | POOLE HYDRO PLANT 1 |  |  | Forced | 10.90 | 10.30 | SCE Gen | CISO
CONTRL_1_RUSHCK |  | RUSH CREEK |  |  | Forced | 11.94 | 0.09 | SCE Gen | CISO
CORRAL_6_SJOAQN |  | Ameresco San Joaquin |  |  | Forced | 4.30 | 4.30 | PGAE Gen | CISO
COVERD_2_MCKHY1 |  | Montgomery Creek Hydro |  |  | Forced | 2.80 | 2.80 | PGAE Gen | CISO
COWCRK_2_UNIT |  | Cow Creek Hydro |  |  | Forced | 2.00 | 1.84 | PGAE Gen | CISO
CRELMN_6_RAMSR3 |  | Ramona Solar Energy |  |  | Forced | 4.32 | 4.32 | SDGE Gen | CISO
CRESTA_7_PL1X2 |  | CRESTA PH UNIT 1 &amp; 2 AGGREGATE |  |  | Forced | 70.40 | 60.64 | PGAE North | CISO
CRNEVL_6_CRNVA |  | Crane Valley |  |  | Planned/Forced | 0.90 | 0.90 | PGAE Gen | CISO
CRNEVL_6_SJQN 2 |  | SAN JOAQUIN 2 |  |  | Planned/Forced | 3.20 | 3.20 | PGAE Gen | CISO
CRSTWD_6_KUMYAY |  | Kumeyaay Wind Farm |  |  | Forced | 50.00 | 4.00 | SDGE Gen | CISO
CSCCOG_1_UNIT 1 |  | SANTA CLARA CO-GEN |  |  | Forced | 7.00 | 3.50 | PGAE South | CISO
CSCGNR_1_UNIT 2 |  | GIANERA PEAKER UNIT 2 |  |  | Forced | 24.75 | 2.74 | PGAE South | CISO
DAIRLD_1_MD2BM1 |  | Madera Digester Genset 2 |  |  | Planned | 0.80 | 0.80 | PGAE Gen | CISO
DEADCK_1_UNIT |  | DEADCK_1_UNIT |  |  | Forced | 1.96 | 1.96 | PGAE Gen | CISO
DELSUR_6_CREST |  | Delsur Aggregate Solar Resources |  |  | Forced | 10.00 | 8.50 | SCE Gen | CISO
DELSUR_6_SOLAR1 |  | Summer Solar North |  |  | Forced | 6.50 | 6.50 | SCE Gen | CISO
DELTA_2_PL1X4 |  | DELTA ENERGY CENTER AGGREGATE |  |  | Forced | 880.00 | 53.00 | PGAE Gen | CISO
DEXZEL_1_UNIT |  | Western Power and Steam Cogeneration |  |  | Forced | 17.45 | 17.45 | PGAE Gen | CISO
DOUBLC_1_UNITS |  | DOUBLE C LIMITED |  |  | Forced | 52.23 | 2.73 | PGAE South | CISO
DRACKR_2_DSUBT1 |  | Dracker Solar Unit 1 BESS |  |  | Forced | 63.00 | 21.30 | SCE Gen | CISO
DRACKR_2_SOLAR1 |  | Dracker Solar Unit 1 |  |  | Forced | 110.00 | 4.20 | SCE Gen | CISO
DREWSR_2_BHSSR1 |  | Blue Hornet Solar |  |  | Forced | 100.00 | 7.00 | SDGE Gen | CISO
DREWS_6_PL1X4 |  | Drews Generating Plant |  |  | Forced | 41.40 | 25.40 | SCE Gen | CISO
DSRTHV_2_DH2SR2 |  | Desert Harvest 2 |  |  | Forced | 70.00 | 10.00 | SCE Gen | CISO
DUANE_1_PL1X3 |  | DONALD VON RAESFELD POWER PROJECT |  |  | Forced | 147.80 | 12.80 | PGAE South | CISO
EDMONS_2_NSPIN |  | EDMONS_2_NSPIN |  |  | Forced | 775.80 | 60.00 | SCE Gen | CISO
ELCAJN_6_LM6K |  | El Cajon Energy Center |  |  | Forced | 48.10 | 1.60 | SDGE Gen | CISO
ELKCRK_6_STONYG |  | STONEY GORGE HYDRO AGGREGATE |  |  | Planned/Forced | 4.90 | 4.90 | PGAE Gen | CISO
ELKHIL_2_PL1X3 |  | ELK HILLS COMBINED CYCLE (AGGREGATE) |  |  | Forced | 551.70 | 56.70 | PGAE Gen | CISO
ELSEGN_2_UN1011 |  | El Segundo Energy Center 5/6 |  |  | Forced | 274.31 | 31.71 | SCE Gen | CISO
ELSEGN_2_UN2021 |  | El Segundo Energy Center 7/8 |  |  | Forced | 271.74 | 271.74 | SCE Gen | CISO
ESCNDO_6_EB1BT1 |  | Escondido BESS 1 |  |  | Forced | 10.00 | 2.50 | SDGE Gen | CISO
ESCNDO_6_EB2BT2 |  | Escondido BESS 2 |  |  | Forced | 10.00 | 4.50 | SDGE Gen | CISO
ESCNDO_6_EB3BT3 |  | Escondido BESS 3 |  |  | Forced | 10.00 | 5.50 | SDGE Gen | CISO
ESCO_6_GLMQF |  | Goal Line Cogen |  |  | Forced | 49.90 | 9.89 | SDGE Gen | CISO
ETIWND_2_FONTNA |  | FONTANALYTLE CREEK POWERHOUSE P |  |  | Forced | 2.56 | 2.36 | SCE Gen | CISO
Count of Resource ID | Outage Type Counts
BA | Forced |  | Planned | Planned/Forced
CISO | 490 |  | 11 | 20
Grand Total | 490 |  | 11 | 20
BA | Sum of Capacity (MW) |  | Sum of Curtailed (MW)
CISO | 42714.73 |  | 10157.03
Grand Total | 42714.73 |  | 10157.03
The content of these pages is subject to change without notice. Decisions based on information contained within the California ISO web site are the visitor's sole responsibility.