## Curtailed
Report Generated on : 09/25/2023 07:30:07 (PPT)
Trade Date: 09/25/2023
Curtailed and Non-Operational Generator AM Report
Resource ID |  | Resource Name |  |  | Outage Type | Capacity (MW) | Curtailed (MW) | Zone Name | BA
ADERA_1_SOLAR1 |  | Adera Solar |  |  | Forced | 20.00 | 2.00 | PGAE Gen | CISO
ADERA_1_SOLAR1 |  | Adera Solar |  |  | Forced | 20.00 | 2.00 | SCE Gen | CISO
ADLIN_1_UNITS |  | GEYSERS AIDLIN AGGREGATE |  |  | Forced | 22.00 | 10.00 | PGAE Gen | CISO
ADLSPP_5_SOLAR |  | Adelanto Solar Power Plant |  |  | Planned/Forced | 10.00 | 10.00 | LADWP Gen | LADWP
ALAMIT_2_PL1X3 |  | Alamitos Energy Center Unit 7 |  |  | Forced | 674.70 | 2.70 | SCE Gen | CISO
ALAMIT_7_ES1 |  | Alamitos Energy Storage |  |  | Forced | 100.45 | 91.45 | SCE Gen | CISO
ALAMIT_7_UNIT 3 |  | ALAMITOS GEN STA. UNIT 3 |  |  | Forced | 326.76 | 36.76 | SCE Gen | CISO
ALMASL_2_AL6BT6 |  | Almasol 6 BES |  |  | Forced | 50.00 | 20.00 | SCE Gen | CISO
ALMEGT_1_UNIT 1 |  | ALAMEDA GT UNIT 1 |  |  | Forced | 25.00 | 25.00 | PGAE South | CISO
ALMEGT_1_UNIT 2 |  | ALAMEDA GT UNIT 2 |  |  | Forced | 25.00 | 25.00 | PGAE South | CISO
ALPSLR_1_NTHSLR |  | Alpaugh North, LLC |  |  | Forced | 20.00 | 10.00 | PGAE Gen | CISO
ALPSLR_1_SPSSLR |  | Alpaugh 50 LLC |  |  | Forced | 50.00 | 17.00 | PGAE Gen | CISO
ALTA3A_2_CPCE5 |  | Alta Wind 5 |  |  | Forced | 168.00 | 3.00 | SCE Gen | CISO
ALTA3A_2_CPCE8 |  | Alta Wind 8 |  |  | Forced | 150.00 | 6.00 | SCE Gen | CISO
ALTA4A_2_CPCW1 |  | Alta Wind 1 |  |  | Forced | 150.00 | 1.50 | SCE Gen | CISO
ALTA4B_2_CPCW3 |  | Alta Wind 3 |  |  | Forced | 150.00 | 6.00 | SCE Gen | CISO
ALTA6B_2_WIND11 |  | Alta Wind 11 |  |  | Forced | 88.15 | 2.85 | SCE Gen | CISO
ALTA6E_2_WIND10 |  | Alta Wind 10 |  |  | Forced | 134.84 | 6.59 | SCE Gen | CISO
ANAHM_2_CANYN1 |  | CANYON POWER PLANT UNIT 1 |  |  | Forced | 49.21 | 49.21 | SCE Gen | CISO
BARRE_6_PEAKER |  | Barre Peaker |  |  | Forced | 49.00 | 1.95 | SCE Gen | CISO
BASICE_2_UNITS |  | King City Cogen |  |  | Forced | 120.00 | 1.00 | PGAE Gen | CISO
BDGRCK_1_UNITS |  | BADGER CREEK LIMITED |  |  | Forced | 48.08 | 5.08 | PGAE South | CISO
BEARMT_1_UNIT |  | Bear Mountain Limited |  |  | Forced | 49.21 | 4.21 | PGAE Gen | CISO
BELDEN_7_UNIT 1 |  | BELDEN HYDRO |  |  | Forced | 119.00 | 119.00 | PGAE Gen | CISO
BGSKYN_2_AS2SR1 |  | Antelope Solar 2 |  |  | Forced | 105.00 | 3.00 | SCE Gen | CISO
BGSKYN_2_ASSR3A |  | Antelope Solar 3A |  |  | Forced | 15.00 | 2.00 | SCE Gen | CISO
BGSKYN_2_BS3SR3 |  | Big Sky Solar 3 |  |  | Forced | 20.00 | 3.00 | SCE Gen | CISO
BIGCRK_2_EXESWD |  | BIG CREEK HYDRO PROJECT PSP |  |  | Planned/Forced | 820.00 | 216.00 | SCE Gen | CISO
BIGSKY_2_BSKSR6 |  | Big Sky Solar 6 |  |  | Forced | 20.00 | 2.50 | SCE Gen | CISO
BIGSKY_2_BSKSR7 |  | Big Sky Solar 7 |  |  | Forced | 20.00 | 2.50 | SCE Gen | CISO
BIGSKY_2_BSKSR8 |  | Big Sky Solar 8 |  |  | Forced | 20.00 | 2.50 | SCE Gen | CISO
BIGSKY_2_SOLAR1 |  | Antelope Big Sky Ranch |  |  | Forced | 20.00 | 3.00 | SCE Gen | CISO
BIGSKY_2_SOLAR3 |  | Big Sky Summer |  |  | Forced | 20.00 | 2.00 | SCE Gen | CISO
BIGSKY_2_SOLAR6 |  | Solverde 1 |  |  | Forced | 85.00 | 5.00 | SCE Gen | CISO
BISHOP_1_ALAMO |  | BISHOP CREEK PLANT 2 AND 6 |  |  | Forced | 13.40 | 3.90 | SCE Gen | CISO
BISHOP_1_UNITS |  | BISHOP CREEK PLANT 3 AND 4 |  |  | Forced | 15.80 | 2.80 | SCE Gen | CISO
BLCKWL_6_SOLAR1 |  | Blackwell Solar |  |  | Forced | 12.00 | 12.00 | PGAE Gen | CISO
BLM W_2_COSBT1 |  | Coso Battery Storage |  |  | Forced | 60.00 | 34.00 | SCE Gen | CISO
BLYTHE_1_SOLAR1 |  | Blythe Solar 1 Project |  |  | Forced | 21.00 | 1.00 | SCE Gen | CISO
BLYTHE_1_SOLAR2 |  | Blythe Green 1 |  |  | Forced | 20.00 | 3.50 | SCE Gen | CISO
BNNIEN_7_ALTAPH |  | ALTA POWER HOUSE |  |  | Planned/Forced | 1.00 | 0.86 | PGAE Gen | CISO
BRDSLD_2_HIWIND |  | High Winds Energy Center |  |  | Forced | 162.00 | 95.40 | PGAE Gen | CISO
BRDSLD_2_SHILO2 |  | SHILOH WIND PROJECT 2 |  |  | Forced | 150.00 | 2.00 | PGAE Gen | CISO
BRODIE_2_WIND |  | Coram Brodie Wind Project |  |  | Forced | 102.00 | 6.00 | SCE Gen | CISO
VESTAL_2_TS5SR1 |  | Tulare Solar 5 |  |  | Forced | 55.83 | 3.83 |  | CISO
WOODLAND_6_WGSUNIT1 |  | Woodland Generation Station Unit 1 |  |  | Forced | 45.00 | 2.00 |  | BANC
WOODLAND_7_WGSUNIT2 |  | Woodland Generation Station Unit 2 |  |  | Forced | 83.00 | 8.00 |  | BANC
WSTWND_2_M89WD2 |  | Mojave 89 Wind |  |  | Forced | 82.65 | 6.10 |  | CISO
DAIRLD_1_MD2BM1 |  | Madera Digester Genset 2 |  |  | Planned | 0.80 | 0.80 | PGAE Gen | CISO
DEADCK_1_UNIT |  | DEADCK_1_UNIT |  |  | Forced | 1.96 | 1.96 | PGAE Gen | CISO
DEERCR_6_UNIT 1 |  | DEER CREEK |  |  | Forced | 7.00 | 7.00 | PGAE North | CISO
DELSUR_6_DRYFRB |  | Dry Farm Ranch B |  |  | Forced | 5.00 | 2.00 | SCE Gen | CISO
DELTA_2_PL1X4 |  | DELTA ENERGY CENTER AGGREGATE |  |  | Forced | 880.00 | 880.00 | PGAE Gen | CISO
DIABLO_7_UNIT 1 |  | Diablo Canyon Unit 1 |  |  | Planned/Forced | 1150.00 | 135.00 | PGAE South | CISO
DONNLS_7_UNIT |  | Donnells Hydro |  |  | Forced | 72.00 | 6.50 | PGAE Gen | CISO
DONPEDRO_6_UNIT4 |  | Don Pedro Unit 4 |  |  | Forced | 38.00 | 13.00 | TID Gen | TIDC
DOUBLC_1_UNITS |  | DOUBLE C LIMITED |  |  | Forced | 52.23 | 2.13 | PGAE South | CISO
DRACKR_2_DSUBT2 |  | Dracker Solar Unit 2 BESS |  |  | Forced | 115.00 | 25.00 | SCE Gen | CISO
DRACKR_2_DSUBT3 |  | Dracker Solar Unit 3 BESS |  |  | Forced | 115.00 | 30.00 | SCE Gen | CISO
DRACKR_2_DSUBT4 |  | Dracker Solar Unit 4 BESS |  |  | Forced | 47.00 | 29.00 | SCE Gen | CISO
DRACKR_2_SOLAR2 |  | Dracker Solar Unit 2 |  |  | Forced | 125.00 | 2.00 | SCE Gen | CISO
DREWS_6_PL1X4 |  | Drews Generating Plant |  |  | Forced | 41.40 | 4.90 | SCE Gen | CISO
DRUM_7_PL3X4 |  | Drum PH 1 Units 3 &amp; 4 Aggregate |  |  | Planned/Forced | 28.90 | 28.90 | PGAE North | CISO
DRUM_7_UNIT 5 |  | DRUM PH 2 UNIT 5 |  |  | Planned | 50.00 | 50.00 | PGAE North | CISO
DSABLA_7_UNIT |  | De Sabla Hydro |  |  | Forced | 18.50 | 5.00 | PGAE North | CISO
DSFLWR_2_WS2SR1 |  | Willow Springs 2 |  |  | Forced | 100.00 | 10.00 | SCE Gen | CISO
DSRTHV_2_DH2BT1 |  | Desert Harvest BESS |  |  | Forced | 35.00 | 21.09 | SCE Gen | CISO
DSRTSL_2_SOLAR1 |  | Desert Stateline |  |  | Forced | 296.19 | 17.19 | SCE Gen | CISO
DUANE_1_PL1X3 |  | DONALD VON RAESFELD POWER PROJECT |  |  | Forced | 147.80 | 7.80 | PGAE South | CISO
DUTCH1_7_UNIT 1 |  | DUTCH FLAT 1 PH |  |  | Forced | 22.00 | 22.00 | PGAE North | CISO
DUTCH2_7_UNIT 1 |  | DUTCH FLAT 2 PH |  |  | Planned | 26.00 | 26.00 | PGAE North | CISO
EASTWD_7_UNIT |  | EASTWOOD PUMP-GEN |  |  | Forced | 200.00 | 200.00 | SCE Gen | CISO
EDMONS_2_NSPIN |  | EDMONS_2_NSPIN |  |  | Forced | 775.80 | 45.80 | SCE Gen | CISO
EDWARD_2_ESSSB1 |  | Sanborn Solar 2 Edwards 5 |  |  | Forced | 116.00 | 116.00 | SCE Gen | CISO
EDWARD_2_ESSSB2 |  | Sanborn Solar 2 |  |  | Forced | 132.00 | 132.00 | SCE Gen | CISO
EEKTMN_6_SOLAR1 |  | EE K Solar 1 |  |  | Forced | 20.00 | 9.10 | PGAE South | CISO
ELCAJN_6_EB1BT1 |  | Eastern BESS 1 |  |  | Planned | 7.50 | 1.50 | SDGE Gen | CISO
ELCAJN_6_LM6K |  | El Cajon Energy Center |  |  | Forced | 48.10 | 23.10 | SDGE Gen | CISO
ELKHIL_2_PL1X3 |  | ELK HILLS COMBINED CYCLE (AGGREGATE) |  |  | Forced | 551.70 | 41.70 | PGAE Gen | CISO
ELKHRN_1_EESX3 |  | Elkhorn Energy Storage |  |  | Forced | 182.50 | 2.50 | PGAE Gen | CISO
ELK_6_RSS |  | Rancho Seco |  |  | Forced | 10.88 | 3.88 | BANC Gen | BANC
ELK_6_RSS |  | Rancho Seco |  |  | Forced | 10.88 | 3.88 | EIM SMUD | BANC
ELSEGN_2_UN1011 |  | El Segundo Energy Center 5/6 |  |  | Forced | 274.31 | 0.01 | SCE Gen | CISO
ESCNDO_6_EB1BT1 |  | Escondido BESS 1 |  |  | Planned | 10.00 | 4.00 | SDGE Gen | CISO
ESCNDO_6_EB2BT2 |  | Escondido BESS 2 |  |  | Planned | 10.00 | 5.50 | SDGE Gen | CISO
ESCNDO_6_EB3BT3 |  | Escondido BESS 3 |  |  | Planned | 10.00 | 3.60 | SDGE Gen | CISO
ETIWND_2_FONTNA |  | FONTANALYTLE CREEK POWERHOUSE P |  |  | Forced | 2.56 | 1.36 | SCE Gen | CISO
ETIWND_2_UNIT1 |  | ETIWND_2_UNIT1 |  |  | Forced | 33.60 | 31.60 | SCE Gen | CISO
MAGNLA_6_ANAHEIM |  | Magnolia Power Plant Anaheim |  |  | Forced | 109.00 | 109.00 | SCE Gen | CISO
MAGNLA_6_CERRITOS |  | Magnolia Power Plant Cerritos |  |  | Forced | 12.00 | 12.00 | SCE Gen | CISO
MAGNLA_6_COLTON |  | Magnolia Power Project |  |  | Forced | 12.00 | 12.00 | SCE Gen | CISO
MAGNLA_6_PASADENA |  | Magnolia Power Plant - PASADENA |  |  | Forced | 18.00 | 18.00 | SCE Gen | CISO
MAGUND_1_BKSSR2 |  | Bakersfield Solar 1 |  |  | Forced | 5.25 | 2.25 | PGAE Gen | CISO
MANTEC_1_ML1SR1 |  | Manteca Land 1 |  |  | Forced | 1.00 | 1.00 | PGAE Gen | CISO
MCFLND_5_MFSSR1 |  | McFarland Solar A PV |  |  | Forced | 200.00 | 200.00 | SDGE Gen | CISO
METEC_2_PL1X3 |  | Metcalf Energy Center |  |  | Forced | 597.05 | 11.05 | PGAE Gen | CISO
MIDWY3_2_MDSSR1 |  | Midway South Solar Farm |  |  | Forced | 20.00 | 2.00 | SCE Gen | CISO
MIRLOM_2_MLBBTA |  | Mira Loma BESS A |  |  | Forced | 10.00 | 10.00 | SCE Gen | CISO
MIRLOM_6_PEAKER |  | Mira Loma Peaker |  |  | Forced | 47.18 | 0.64 | SCE Gen | CISO
MKTRCK_1_UNIT 1 |  | MCKITTRICK LIMITED |  |  | Forced | 47.72 | 8.02 | PGAE South | CISO
MNDALY_6_MCGRTH |  | McGrath Beach Peaker |  |  | Forced | 48.56 | 3.44 | SCE Gen | CISO
MNDOTA_1_SOLAR2 |  | Citizen Solar B |  |  | Forced | 5.00 | 2.00 | PGAE Gen | CISO
MOAPP_5_SOLAR |  | Moapa Solar Power Plant |  |  | Forced | 250.00 | 19.00 | LADWP Gen | LADWP
MOORPK_2_CALABS |  | Calabasas Gas-to-Energy Facility |  |  | Forced | 6.96 | 4.36 | SCE Gen | CISO
MSOLAR_2_SOLAR1 |  | Mesquite Solar 1 |  |  | Planned/Forced | 165.00 | 10.50 | SDGE Gen | CISO
MSTANG_2_SOLAR |  | Mustang |  |  | Forced | 30.00 | 30.00 | PGAE Gen | CISO
MSTANG_2_SOLAR3 |  | Mustang 3 |  |  | Forced | 40.00 | 3.00 | PGAE Gen | CISO
MSTANG_2_SOLAR4 |  | Mustang 4 |  |  | Forced | 30.00 | 7.56 | PGAE Gen | CISO
NAROW1_2_UNIT |  | NARROWS PH 1 UNIT |  |  | Forced | 12.00 | 2.60 | PGAE North | CISO
NAROW2_2_UNIT |  | Narrows Powerhouse Unit 2 |  |  | Forced | 55.00 | 53.40 | PGAE North | CISO
NCPA_7_GP1UN1 |  | NCPA GEO PLANT 1 UNIT 1 |  |  | Forced | 38.85 | 38.85 | PGAE Gen | CISO
NCPA_7_GP2UN3 |  | NCPA GEO PLANT 2 UNIT 3 |  |  | Forced | 42.42 | 42.42 | PGAE Gen | CISO
NCPA_7_GP2UN4 |  | NCPA GEO PLANT 2 UNIT 4 |  |  | Forced | 52.73 | 52.73 | PGAE Gen | CISO
NWCSTL_7_UNIT 1 |  | NEWCASTLE HYDRO |  |  | Forced | 12.00 | 12.00 | PGAE Gen | CISO
OAK C_7_UNIT 1 |  | OAKLAND STATION C GT UNIT 1 |  |  | Forced | 55.00 | 28.00 | PGAE South | CISO
OAK C_7_UNIT 3 |  | OAKLAND STATION C GT UNIT 3 |  |  | Forced | 55.00 | 1.00 | PGAE South | CISO
OASIS_6_SOLAR2 |  | Oasis Solar |  |  | Forced | 20.00 | 1.00 | SCE Gen | CISO
OBERON_5_O1SSR3 |  | Oberon 1B Solar |  |  | Forced | 100.00 | 100.00 | SCE Gen | CISO
OCTILO_5_WIND |  | Ocotillo Wind Energy Facility |  |  | Forced | 265.00 | 20.00 | SDGE Gen | CISO
OGPP_2_OG |  | Owens Gorge Power Plant |  |  | Planned/Forced | 110.00 | 110.00 | LADWP Gen | LADWP
OILFLD_7_QFUNTS |  | Nacimiento Hydroelectric Plant |  |  | Forced | 3.80 | 0.20 | PGAE South | CISO
OLINDA_2_COYCRK |  | MWD Coyote Creek Hydroelectric Recovery |  |  | Forced | 3.13 | 3.13 | SCE Gen | CISO
OMAR_2_UNIT 2 |  | KERN RIVER COGENERATION CO. UNIT 2 |  |  | Forced | 75.00 | 75.00 | SCE Gen | CISO
ORLND_6_HIGHLI |  | High Line Canal Hydro |  |  | Forced | 0.50 | 0.50 | PGAE Gen | CISO
OROVIL_6_UNIT |  | Oroville Cogeneration, LP |  |  | Forced | 7.50 | 7.50 | PGAE Gen | CISO
OTMESA_2_PL1X3 |  | OTAY MESA ENERGY CENTER |  |  | Forced | 603.68 | 17.68 | SDGE Gen | CISO
PACLUM_6_UNIT |  | Humboldt Redwood |  |  | Forced | 28.80 | 6.80 | PGAE Gen | CISO
PACLUM_6_UNIT |  | Humboldt Redwood |  |  | Forced | 28.80 | 6.80 | PGAE North | CISO
PADUA_2_ONTARO |  | ONTARIO/SIERRA HYDRO PSP |  |  | Forced | 1.92 | 1.12 | SCE Gen | CISO
PALALT_7_COBUG |  | Cooperatively Owned Back Up Generator |  |  | Forced | 4.50 | 4.50 | PGAE Gen | CISO
PARDEB_6_UNITS |  | Pardee Power House |  |  | Forced | 30.00 | 20.20 | PGAE Gen | CISO
PEORIA_1_SOLAR |  | Sonora 1 |  |  | Forced | 1.50 | 1.50 | PGAE Gen | CISO
SENTNL_2_CTG1 |  | Sentinel Unit 1 |  |  | Forced | 107.68 | 15.68 | SCE Gen | CISO
SENTNL_2_CTG2 |  | Sentinel Unit 2 |  |  | Forced | 104.19 | 7.69 | SCE Gen | CISO
SENTNL_2_CTG3 |  | Sentinel Unit 3 |  |  | Forced | 105.69 | 7.69 | SCE Gen | CISO
SENTNL_2_CTG4 |  | Sentinel Unit 4 |  |  | Forced | 106.55 | 7.75 | SCE Gen | CISO
SENTNL_2_CTG5 |  | Sentinel Unit 5 |  |  | Forced | 107.52 | 7.72 | SCE Gen | CISO
SENTNL_2_CTG6 |  | Sentinel Unit 6 |  |  | Forced | 105.00 | 7.70 | SCE Gen | CISO
SENTNL_2_CTG7 |  | Sentinel Unit 7 |  |  | Forced | 106.73 | 15.73 | SCE Gen | CISO
SENTNL_2_CTG8 |  | Sentinel Unit 8 |  |  | Forced | 106.85 | 7.75 | SCE Gen | CISO
SIERRA_1_UNITS |  | HIGH SIERRA LIMITED |  |  | Forced | 52.43 | 2.33 | PGAE Gen | CISO
SLUISP_2_UNITS |  | SAN LUIS (GIANELLI) PUMP-GEN (AGGREGATE) |  |  | Planned/Forced | 374.43 | 52.43 | PGAE Gen | CISO
SMUDGO_7_UNIT 1 |  | SONOMA POWER PLANT |  |  | Forced | 64.80 | 13.80 | PGAE Gen | CISO
SNCLRA_2_UNIT1 |  | New Indy Oxnard |  |  | Forced | 27.80 | 15.30 | SCE Gen | CISO
SPAULD_6_UNIT12 |  | SPAULDING HYDRO PH 1 &amp; 2 AGGREGATE |  |  | Planned/Forced | 11.40 | 11.40 | PGAE North | CISO
SPBURN_7_SNOWMT |  | Burney Creek Hydro |  |  | Forced | 3.00 | 3.00 | PGAE North | CISO
SPRGVL_2_TULESC |  | TULE RIVER HYDRO PLANT (SCE) |  |  | Forced | 2.50 | 2.50 | SCE Gen | CISO
STANTN_2_STAGT2 |  | Stanton 2 |  |  | Forced | 49.65 | 0.15 | SCE Gen | CISO
STIGCT_2_LODI |  | LODI STIG UNIT |  |  | Forced | 49.90 | 3.90 | PGAE Gen | CISO
SUNCAT_2_A1ABT1 |  | Arlington Solar Unit 1A BESS |  |  | Forced | 47.00 | 30.00 | SCE Gen | CISO
SUNCAT_2_A1BBT1 |  | Arlington Solar Unit 1B BESS |  |  | Forced | 63.00 | 38.00 | SCE Gen | CISO
SUNCAT_2_A2ABT2 |  | Arlington Solar Unit 2A BESS |  |  | Forced | 132.00 | 32.00 | SCE Gen | CISO
SUNRIS_2_PL1X3 |  | Sunrise Power Project AGGREGATE II |  |  | Forced | 586.02 | 32.71 | PGAE Gen | CISO
SUNSET_2_UNITS |  | MIDWAY SUNSET COGENERATION PLANT |  |  | Forced | 248.00 | 8.00 | PGAE South | CISO
SUNSLR_1_SSVSR1 |  | Sunshine Valley Solar 1 |  |  | Planned/Forced | 100.00 | 25.00 | VEA Gen | CISO
SUTTER_2_CISO |  | Sutter Power Plant Pseudo-CISO |  |  | Forced | 275.00 | 2.00 | PGAE Gen | CISO
TEHAPI_2_PW1WD1 |  | Point Wind 1 |  |  | Forced | 47.49 | 2.30 | SCE Gen | CISO
TEHAPI_2_PW2WD2 |  | Point Wind 2 |  |  | Forced | 14.40 | 3.60 | SCE Gen | CISO
TERMEX_2_PL1X3 |  | TDM |  |  | Forced | 625.00 | 14.00 | SDGE Gen | CISO
TOPAZ_2_SOLAR |  | Topaz Solar Farms |  |  | Forced | 550.00 | 68.00 | PGAE South | CISO
TRNQLT_2_RETBT1 |  | RE Tranquillity BESS |  |  | Forced | 72.00 | 30.00 | PGAE Gen | CISO
TRNQLT_2_SOLAR |  | Tranquillity |  |  | Forced | 200.00 | 5.50 | PGAE Gen | CISO
TRNSWD_1_QF |  | FPL Energy C Wind |  |  | Forced | 38.97 | 35.97 | SCE Gen | CISO
TXMCKT_6_UNIT |  | McKittrick Cogen |  |  | Forced | 11.20 | 6.20 | PGAE South | CISO
ULTRCK_2_UNIT |  | Rio Bravo Rocklin |  |  | Forced | 24.40 | 24.40 | PGAE North | CISO
UNCHEM_1_UNIT |  | CONTRA COSTA CARBON PLANT |  |  | Forced | 19.00 | 19.00 | PGAE Gen | CISO
USWND2_1_WIND2 |  | Golden Hills B |  |  | Forced | 42.96 | 5.37 | PGAE Gen | CISO
USWND2_1_WIND3 |  | Golden Hills C |  |  | Forced | 46.00 | 2.30 | PGAE Gen | CISO
USWNDR_2_LABWD1 |  | LaBrisa Wind Project |  |  | Forced | 9.00 | 3.00 | PGAE Gen | CISO
USWNDR_2_SMUD |  | SOLANO WIND FARM |  |  | Planned | 102.18 | 15.18 | PGAE Gen | CISO
USWPFK_6_FRICK |  | Frick Summit Wind Repower |  |  | Forced | 10.00 | 2.50 | PGAE Gen | CISO
USWPJR_2_UNITS |  | Vasco Wind |  |  | Forced | 78.20 | 2.30 | PGAE Gen | CISO
VALGS_1_UNIT_5 |  | Valley Generating Station UNIT 5 |  |  | Forced | 43.00 | 43.00 | LADWP Gen | LADWP
VALGS_2_CC_6_7_8 |  | Valley Generating Station Combined Cycle |  |  | Forced | 533.00 | 18.00 | LADWP Gen | LADWP
VALLEY_5_PERRIS |  | MWD Perris Hydroelectric Recovery Plant |  |  | Forced | 7.94 | 7.94 | SCE Gen | CISO
VEDDER_1_SEKERN |  | TEXACO EXPLORATION &amp; PROD (SE KERN RIVER |  |  | Forced | 34.47 | 12.47 | PGAE Gen | CISO
VESTAL_2_KERN |  | KERN RIVER PH 3 UNITS 1 &amp; 2 AGGREGATE |  |  | Planned/Forced | 36.80 | 9.80 | SCE Gen | CISO
VESTAL_6_QF |  | Isabella Hydro Dam 1 |  |  | Forced | 11.95 | 11.95 | SCE Gen | CISO
FIFTHS_2_FSSR1 |  | Fifth Standard Solar |  |  | Forced | 150.00 | 150.00 |  | CISO
FOLSOM_7_UNITS |  | Folsom and Nimbus Aggregation |  |  | Planned/Forced | 224.00 | 86.00 |  | BANC
HAMLIN_1_BLDSB1 |  | Baldy Mesa Hybrid |  |  | Forced | 150.00 | 150.00 |  | CISO
HOOVER_2_LDWP |  | Hoover Power Plant - LADWP Share |  |  | Forced | 537.00 | 193.00 |  | LADWP
LECONT_2_LESBT1 |  | LeConte Energy Storage |  |  | Forced | 125.00 | 3.00 |  | CISO
MARSHALL_7_EROCKUNIT1 |  | EROCK MARSHALL UNIT 1 |  |  | Forced | 11.70 | 11.70 |  | TIDC
MARSHALL_7_EROCKUNIT2 |  | EROCK MARSHALL UNIT 2 |  |  | Forced | 11.70 | 11.70 |  | TIDC
MARSHALL_7_EROCKUNIT3 |  | EROCK MARSHALL UNIT 3 |  |  | Forced | 11.70 | 11.70 |  | TIDC
MARSHALL_7_EROCKUNIT4 |  | EROCK MARSHALL UNIT 4 |  |  | Forced | 11.70 | 11.70 |  | TIDC
MCCLURE_1_MGSUNIT2 |  | McClure Generation Station Unit 2 |  |  | Forced | 53.50 | 53.50 |  | BANC
MCFLND_5_MFSBT1 |  | McFarland Solar A BESS |  |  | Forced | 100.00 | 100.00 |  | CISO
MELONP_7_UNITS |  | New Melones Aggregation |  |  | Planned/Forced | 380.00 | 35.00 |  | BANC
MSOLAR_2_MS4SR4 |  | Mesquite Solar 4 |  |  | Planned/Forced | 52.50 | 52.50 |  | CISO
OASIS_6_AR4SR3 |  | Arrache 4013 |  |  | Forced | 1.50 | 1.50 |  | CISO
OASIS_6_LPPSR1 |  | Lancaster Psomas PV |  |  | Forced | 3.00 | 1.00 |  | CISO
OASIS_6_MA4SR1 |  | Ma 4035 |  |  | Forced | 1.50 | 1.50 |  | CISO
OASIS_6_VINSR1 |  | Vinam |  |  | Forced | 1.50 | 1.50 |  | CISO
OBERON_5_O2SSR4 |  | Oberon 2A Solar |  |  | Forced | 125.00 | 125.00 |  | CISO
OCOTLO_6_OCWSB1 |  | Ocotillo Wells Solar and BESS |  |  | Forced | 50.00 | 30.00 |  | CISO
OTAY_6_ECVBT1 |  | EnerSmart Chula Vista 1 |  |  | Forced | 3.00 | 3.00 |  | CISO
REP_6_UNITS |  | Roseville Energy Park |  |  | Forced | 164.00 | 6.00 |  | BANC
RP2_2_SOLAR |  | Rancho Seco Solar II |  |  | Forced | 160.00 | 60.00 |  | BANC
RPEAK_6_UNITS |  | Roseville Peakers TM2500 |  |  | Forced | 55.00 | 55.00 |  | BANC
RPP2_6_CTG1 |  | Roseville Power Plant 2 CT1 |  |  | Forced | 24.00 | 2.00 |  | BANC
RPP2_6_CTG2 |  | Roseville Power Plant 2 CT2 |  |  | Forced | 24.00 | 3.99 |  | BANC
SANBRN_2_SS2BT3 |  | Sanborn Solar 2 SBESS 3 |  |  | Forced | 169.00 | 149.00 |  | CISO
SCNW_6_PDRP61 |  | ACES-Swell-NW |  |  | Forced | 0.21 | 0.21 |  | CISO
SHASTRD_7_UNITS |  | Shasta and Trinity River Division Agg |  |  | Planned/Forced | 1265.00 | 175.00 |  | BANC
SISPRG_2_DS3BT1 |  | Daggett Solar 3 a BESS |  |  | Forced | 61.50 | 61.50 |  | CISO
SISPRG_2_DS3BT3 |  | Daggett Solar 3 cd BESS |  |  | Forced | 12.50 | 2.50 |  | CISO
SISPRG_2_DS3SR1 |  | Daggett Solar 3 a PV |  |  | Forced | 123.00 | 123.00 |  | CISO
SPRGVL_2_EXETPV |  | Exeter Tulare PV |  |  | Forced | 3.50 | 3.50 |  | CISO
STANTN_2_SBEBX2 |  | Stanton Battery Energy Storage |  |  | Planned/Forced | 68.80 | 2.80 |  | CISO
SUNCAT_2_A2BSR2 |  | Arlington Solar Unit 2B |  |  | Forced | 133.00 | 93.00 |  | CISO
SUTTER_2_PSEUDOBANC |  | SUTTER_2_PSEUDOBANC |  |  | Forced | 275.00 | 17.00 |  | BANC
TULARE_2_TFCBM1 |  | LB Trigen Fuel Cell 1 |  |  | Forced | 2.80 | 0.79 |  | CISO
TVYVLY_6_KRSHY1 |  | Kings River Syphon |  |  | Forced | 1.30 | 1.30 |  | CISO
INDIGO_1_UNIT 1 |  | INDIGO PEAKER UNIT 1 |  |  | Forced | 45.30 | 3.30 | SCE Gen | CISO
INDIGO_1_UNIT 2 |  | INDIGO PEAKER UNIT 2 |  |  | Forced | 45.30 | 4.70 | SCE Gen | CISO
INDIGO_1_UNIT 3 |  | INDIGO PEAKER UNIT 3 |  |  | Forced | 45.30 | 5.10 | SCE Gen | CISO
INDVLY_1_UNITS |  | Indian Valley Hydro |  |  | Forced | 3.01 | 3.01 | PGAE North | CISO
INTKEP_2_UNITS |  | CCSF Hetch_Hetchy Hydro Aggregate |  |  | Planned/Forced | 405.00 | 103.00 | PGAE Gen | CISO
INTMNT_3_RIVERSIDE |  | IPPDYN |  |  | Forced | 136.00 | 1.00 | SCE Gen | CISO
IVSLRP_2_SOLAR1 |  | Silver Ridge Mount Signal |  |  | Forced | 200.00 | 60.00 | SDGE Gen | CISO
JAWBNE_2_NSRWND |  | North Sky River Wind Project |  |  | Forced | 160.00 | 8.00 | SCE Gen | CISO
JAWBNE_2_SRWND |  | Sky River Wind Repower A |  |  | Forced | 30.00 | 9.00 | SCE Gen | CISO
JAWBNE_2_SRWWD2 |  | Sky River Wind Repower B |  |  | Forced | 30.20 | 2.30 | SDGE Gen | CISO
JAY_2_UNIT1 |  | Jaybird Powerhouse Unit 1 |  |  | Forced | 76.00 | 2.00 | BANC Gen | BANC
JAY_2_UNIT1 |  | Jaybird Powerhouse Unit 1 |  |  | Forced | 76.00 | 2.00 | EIM SMUD | BANC
JAY_2_UNIT2 |  | Jaybird Powerhouse Unit 2 |  |  | Forced | 76.00 | 2.00 | BANC Gen | BANC
JAY_2_UNIT2 |  | Jaybird Powerhouse Unit 2 |  |  | Forced | 76.00 | 2.00 | EIM SMUD | BANC
JFK_6_UNIT |  | Jones Fork Powerhouse |  |  | Planned | 10.00 | 10.00 | BANC Gen | BANC
JFK_6_UNIT |  | Jones Fork Powerhouse |  |  | Planned | 10.00 | 10.00 | EIM SMUD | BANC
JOHANN_2_JOSBT2 |  | Johanna Storage 2 |  |  | Forced | 10.00 | 1.00 | SDGE Gen | CISO
KEKAWK_6_UNIT |  | STS HYDROPOWER LTD. (KEKAWAKA) |  |  | Forced | 5.50 | 5.50 | PGAE Gen | CISO
KELSO_2_UNITS |  | Mariposa Energy |  |  | Forced | 198.03 | 6.08 | PGAE Gen | CISO
KERMAN_6_SOLAR2 |  | Fresno Solar West |  |  | Forced | 1.50 | 0.75 | PGAE South | CISO
KERNFT_1_UNITS |  | KERN FRONT LIMITED |  |  | Forced | 52.40 | 2.30 | PGAE South | CISO
KERRGN_1_UNIT 1 |  | KERN RIVER HYDRO UNITS 1-4 AGGREGATE |  |  | Forced | 25.60 | 7.10 | SCE Gen | CISO
KNTSTH_6_SOLAR |  | Kent South |  |  | Forced | 20.00 | 3.50 | PGAE South | CISO
LAKHDG_6_UNIT 1 |  | Lake Hodges Pumped Storage-Unit1 |  |  | Planned | 20.00 | 20.00 | SDGE Gen | CISO
LAKHDG_6_UNIT 2 |  | Lake Hodges Pumped Storage-Unit2 |  |  | Planned | 20.00 | 20.00 | SDGE Gen | CISO
LAMONT_1_SOLAR2 |  | Redwood Solar Farm 4 |  |  | Forced | 20.00 | 1.80 | PGAE Gen | CISO
LAMONT_1_SOLAR3 |  | Woodmere Solar Farm |  |  | Forced | 14.99 | 1.69 | PGAE Gen | CISO
LAMONT_1_SOLAR4 |  | Hayworth Solar Farm |  |  | Forced | 26.66 | 2.16 | PGAE South | CISO
LAMONT_1_SOLAR5 |  | Redcrest Solar Farm |  |  | Forced | 16.66 | 3.36 | PGAE Gen | CISO
LAPLMA_2_UNIT 1 |  | La Paloma Generating Plant Unit #1 |  |  | Forced | 267.00 | 3.00 | PGAE Gen | CISO
LAPLMA_2_UNIT 2 |  | La Paloma Generating Plant Unit #2 |  |  | Forced | 266.00 | 3.00 | PGAE Gen | CISO
LAPLMA_2_UNIT 3 |  | La Paloma Generating Plant Unit #3 |  |  | Forced | 266.00 | 8.00 | PGAE Gen | CISO
LAPLMA_2_UNIT 4 |  | LA PALOMA GENERATING PLANT, UNIT #4 |  |  | Forced | 267.00 | 7.00 | PGAE Gen | CISO
LARKSP_6_UNIT 1 |  | LARKSPUR PEAKER UNIT 1 |  |  | Forced | 49.00 | 2.00 | SDGE Gen | CISO
LARKSP_6_UNIT 2 |  | LARKSPUR PEAKER UNIT 2 |  |  | Forced | 49.00 | 1.00 | SDGE Gen | CISO
LAROA2_2_UNITA1 |  | LR2 |  |  | Forced | 322.00 | 15.00 | SDGE Gen | CISO
LEBECS_2_UNITS |  | Pastoria Energy Facility |  |  | Forced | 799.47 | 15.47 | SCE Gen | CISO
LECEF_1_UNITS |  | LOS ESTEROS ENERGY FACILITY AGGREGATE |  |  | Forced | 309.84 | 309.84 | PGAE South | CISO
LHILLS_6_SOLAR1 |  | Lost Hills Solar |  |  | Forced | 20.00 | 20.00 | PGAE Gen | CISO
LITLRK_6_SOLAR1 |  | Lancaster Little Rock C |  |  | Forced | 5.00 | 2.50 | SCE Gen | CISO
LIVOAK_1_UNIT 1 |  | LIVE OAK LIMITED |  |  | Forced | 49.70 | 4.70 | PGAE South | CISO
LMEC_1_PL1X3 |  | Los Medanos Energy Center AGGREGATE |  |  | Forced | 580.00 | 6.00 | PGAE Gen | CISO
LNL_6_UNIT |  | Loon Lake Powerhouse |  |  | Planned/Forced | 78.00 | 78.00 | BANC Gen | BANC
LNL_6_UNIT |  | Loon Lake Powerhouse |  |  | Planned/Forced | 78.00 | 78.00 | EIM SMUD | BANC
LODI25_2_UNIT 1 |  | LODI GAS TURBINE |  |  | Forced | 25.00 | 2.00 | PGAE Gen | CISO
LODIEC_2_PL1X2 |  | Lodi Energy Center |  |  | Forced | 302.58 | 14.58 | PGAE Gen | CISO
LOWGAP_7_QFUNTS |  | Matthews Dam Hydro |  |  | Forced | 1.35 | 1.35 | PGAE North | CISO
FLOWD2_2_FPLWND |  | DIABLO WINDS |  |  | Forced | 18.00 | 4.70 | PGAE Gen | CISO
FORKBU_6_UNIT |  | Forks of Butte Hydro |  |  | Forced | 14.30 | 12.90 | PGAE Gen | CISO
GARLND_2_GARBT1 |  | Garland B BESS |  |  | Forced | 88.00 | 24.00 | SCE Gen | CISO
GARLND_2_GASLR |  | Garland B |  |  | Forced | 180.00 | 21.60 | SCE Gen | CISO
GARNET_1_WINDS |  | Garnet Winds Aggregation |  |  | Forced | 22.50 | 3.00 | SCE Gen | CISO
GARNET_2_COAWD2 |  | Coachella 2 |  |  | Forced | 10.80 | 3.60 | SCE Gen | CISO
GARNET_2_HYDRO |  | Whitewater Hydro |  |  | Forced | 1.00 | 1.00 | SCE Gen | CISO
GARNET_2_WIND1 |  | Phoenix |  |  | Forced | 11.20 | 11.20 | SCE Gen | CISO
GARNET_2_WIND2 |  | Karen Avenue Wind Farm |  |  | Forced | 11.70 | 4.50 | SCE Gen | CISO
GARNET_2_WIND3 |  | San Gorgonio East |  |  | Forced | 12.60 | 12.60 | SCE Gen | CISO
GASKW1_2_GW1SR1 |  | Gaskell West 1 |  |  | Forced | 20.00 | 2.86 | SCE Gen | CISO
GATWAY_2_PL1X3 |  | GATEWAY GENERATING STATION |  |  | Forced | 585.00 | 49.60 | PGAE South | CISO
GEYS11_7_UNIT11 |  | GEYSERS UNIT 11 (HEALDSBURG) |  |  | Forced | 86.80 | 5.80 | PGAE Gen | CISO
GEYS12_7_UNIT12 |  | GEYSERS UNIT 12 (HEALDSBURG) |  |  | Forced | 57.00 | 15.00 | PGAE Gen | CISO
GEYS13_7_UNIT13 |  | GEYSERS UNIT 13 (HEALDSBURG) |  |  | Forced | 73.00 | 26.00 | PGAE Gen | CISO
GEYS14_7_UNIT14 |  | GEYSERS UNIT 14 (HEALDSBURG) |  |  | Forced | 70.00 | 14.00 | PGAE Gen | CISO
GEYS16_7_UNIT16 |  | GEYSERS UNIT 16 (HEALDSBURG) |  |  | Forced | 63.00 | 17.00 | PGAE Gen | CISO
GEYS17_7_UNIT17 |  | GEYSERS UNIT 17 (HEALDSBURG) |  |  | Forced | 75.50 | 75.50 | PGAE Gen | CISO
GEYS18_7_UNIT18 |  | GEYSERS UNIT 18 (HEALDSBURG) |  |  | Forced | 72.00 | 32.00 | PGAE Gen | CISO
GEYS20_7_UNIT20 |  | GEYSERS UNIT 20 (HEALDSBURG) |  |  | Forced | 50.00 | 16.00 | PGAE Gen | CISO
GILROY_1_UNIT |  | GILROY COGEN AGGREGATE |  |  | Forced | 120.00 | 14.00 | PGAE South | CISO
GRIZLY_1_UNIT 1 |  | GRIZZLY HYDRO |  |  | Forced | 20.00 | 20.00 | PGAE North | CISO
GRNVLY_7_SCLAND |  | SANTA CRUZ LANDFILL GENERATING PLANT |  |  | Forced | 3.04 | 1.04 | PGAE South | CISO
GRSCRK_6_BGCKWW |  | BIG CREEK WATER WORKS - CEDAR FLAT |  |  | Forced | 5.00 | 5.00 | PGAE Gen | CISO
GYS5X6_7_UNITS |  | GEYSERS UNITS 5 &amp; 6 AGGREGATE |  |  | Forced | 98.43 | 22.43 | PGAE Gen | CISO
GYS7X8_7_UNITS |  | GEYSERS UNITS 7 &amp; 8 AGGREGATE |  |  | Forced | 95.80 | 17.80 | PGAE Gen | CISO
HALSEY_6_UNIT |  | HALSEY HYDRO |  |  | Planned | 13.50 | 13.50 | PGAE Gen | CISO
HARGS_1_CC_1_2_5 |  | Harbor Generating Station Combined Cycle |  |  | Forced | 221.00 | 16.00 | LADWP Gen | LADWP
HARGS_1_UNIT_12 |  | Harbor Generating Station UNIT 12 |  |  | Forced | 44.00 | 3.00 | LADWP Gen | LADWP
HARGS_1_UNIT_14 |  | Harbor Generating Station UNIT 14 |  |  | Forced | 44.00 | 44.00 | LADWP Gen | LADWP
HATCR2_7_UNIT |  | Hat Creek #2 |  |  | Planned/Forced | 8.50 | 8.50 | PGAE North | CISO
HATLOS_6_LSCRK |  | Lost Creek 1 &amp; 2 Hydro Conversion |  |  | Forced | 1.70 | 0.94 | PGAE Gen | CISO
HAYGS_2_CC8_9_10 |  | Haynes Generating Station Combined Cycle |  |  | Planned/Forced | 575.00 | 40.00 | LADWP Gen | LADWP
HAYGS_2_UNIT_1 |  | Haynes Generating Station UNIT 1 |  |  | Forced | 222.00 | 29.00 | LADWP Gen | LADWP
HAYGS_2_UNIT_11 |  | Haynes Generating Station UNIT 11 |  |  | Forced | 96.00 | 96.00 | LADWP Gen | LADWP
HAYGS_2_UNIT_2 |  | Haynes Generating Station UNIT 2 |  |  | Forced | 222.00 | 222.00 | LADWP Gen | LADWP
HAYPRS_6_HAYHD1 |  | Haypress Lower |  |  | Forced | 5.80 | 5.80 | PGAE Gen | CISO
HAYPRS_6_HAYHD2 |  | Haypress Middle |  |  | Forced | 6.70 | 6.70 | PGAE Gen | CISO
HENRTA_6_SOLAR1 |  | Lemoore 1 |  |  | Forced | 1.50 | 1.50 | PGAE Gen | CISO
HIGHDS_2_H5SBT1 |  | High 5 Solar BESS |  |  | Forced | 50.00 | 10.00 | SCE Gen | CISO
PGG_2_PL |  | Procter &amp; Gamble CoGen |  |  | Forced | 126.00 | 6.00 | BANC Gen | BANC
PGG_2_PL |  | Procter &amp; Gamble CoGen |  |  | Forced | 126.00 | 6.00 | EIM SMUD | BANC
PHOENX_1_UNIT |  | PHOENIX PH |  |  | Forced | 2.00 | 2.00 | PGAE Gen | CISO
PINFLT_7_UNITS |  | PINE FLAT HYDRO AGGREGATE |  |  | Forced | 198.51 | 0.01 | PGAE Gen | CISO
PIOPIC_2_CTG1 |  | Pio Pico Unit 1 |  |  | Forced | 111.30 | 4.19 | SDGE Gen | CISO
PIOPIC_2_CTG2 |  | Pio Pico Unit 2 |  |  | Forced | 112.70 | 2.79 | SDGE Gen | CISO
PIOPIC_2_CTG3 |  | Pio Pico Unit 3 |  |  | Forced | 112.00 | 3.17 | SDGE Gen | CISO
PIT6_7_UNIT 1 |  | PIT PH 6 UNIT 1 |  |  | Forced | 39.00 | 2.61 | PGAE North | CISO
PIT6_7_UNIT 2 |  | PIT PH 6 UNIT 2 |  |  | Forced | 40.00 | 3.61 | PGAE North | CISO
PIUTE_6_GNBSR1 |  | Green Beanworks B |  |  | Forced | 3.00 | 1.50 | SCE Gen | CISO
PLAINV_6_SOLAR3 |  | Sierra Solar Greenworks LLC |  |  | Forced | 20.00 | 1.00 | SCE Gen | CISO
PNCHEG_2_PL1X4 |  | PANOCHE ENERGY CENTER (Aggregated) |  |  | Forced | 417.00 | 111.00 | PGAE Gen | CISO
PNCHPP_1_PL1X2 |  | Midway Peaking Aggregate |  |  | Forced | 119.91 | 3.91 | PGAE Gen | CISO
POEPH_7_UNIT 1 |  | POE HYDRO UNIT 1 |  |  | Forced | 68.00 | 38.00 | PGAE North | CISO
POEPH_7_UNIT 2 |  | POE HYDRO UNIT 2 |  |  | Forced | 68.50 | 15.70 | PGAE North | CISO
PP_1_PP |  | PP1 UNIT 1A |  |  | Planned/Forced | 61.00 | 23.00 | LADWP Gen | LADWP
PRCTVY_1_MIGBT1 |  | Miguel BESS |  |  | Forced | 2.00 | 1.00 | SDGE Gen | CISO
PTRPP_2_WIND |  | Pine Tree Wind Power Plant |  |  | Forced | 135.00 | 108.00 | LADWP Gen | LADWP
PWEST_1_UNIT |  | PACIFIC WEST 1 WIND GENERATION |  |  | Forced | 2.10 | 2.10 | SCE Gen | CISO
RAMON_2_SCEDYN |  | RAMON_2_SCEDYN |  |  | Forced | 106.18 | 61.18 | SCE Gen | CISO
RCKCRK_7_UNIT 1 |  | ROCK CREEK HYDRO UNIT 1 |  |  | Forced | 57.00 | 36.58 | PGAE North | CISO
RDCLD_3_WIND |  | Red Cloud Wind Power Plant |  |  | Forced | 331.00 | 33.00 | LADWP Gen | LADWP
RECTOR_2_KAWEAH |  | KAWEAH PH 2 &amp; 3 PSP AGGREGATE |  |  | Forced | 6.55 | 6.55 | SCE Gen | CISO
RECTOR_2_KAWH 1 |  | KAWEAH PH 1 UNIT 1 |  |  | Forced | 2.25 | 2.25 | SCE Gen | CISO
RECTOR_2_QF |  | Kaweah Unit 1 |  |  | Forced | 20.09 | 20.09 | SCE Gen | CISO
RENWD_1_QF |  | Renwind re-powering project |  |  | Forced | 10.00 | 4.00 | SCE Gen | CISO
RICHMN_7_BAYENV |  | BAY ENVIRONMENTAL (NOVE POWER) |  |  | Forced | 2.50 | 2.50 | PGAE Gen | CISO
ROB_6_UNIT |  | Robbs Peak Powerhouse |  |  | Planned | 26.00 | 26.00 | BANC Gen | BANC
ROB_6_UNIT |  | Robbs Peak Powerhouse |  |  | Planned | 26.00 | 26.00 | EIM SMUD | BANC
ROSMDW_2_WIND1 |  | Pacific Wind - Phase 1 |  |  | Forced | 140.00 | 2.00 | SCE Gen | CISO
RTREE_2_WIND2 |  | Rising Tree 2 |  |  | Forced | 19.80 | 3.30 | SCE Gen | CISO
RUSCTY_2_UNITS |  | Russell City Energy Center |  |  | Forced | 615.18 | 17.18 | PGAE South | CISO
SALTSP_7_UNITS |  | SALT SPRINGS HYDRO AGGREGATE |  |  | Planned/Forced | 46.00 | 46.00 | PGAE North | CISO
SANBRN_2_EESSB2 |  | Edsan 2 Edwards Sanborn E1B |  |  | Forced | 166.00 | 154.00 | SCE Gen | CISO
SANTFG_7_UNITS |  | GEYSERS CALISTOGA AGGREGATE |  |  | Forced | 72.00 | 15.00 | PGAE Gen | CISO
SANTGO_2_MABBT1 |  | Millikan Avenue BESS |  |  | Forced | 2.00 | 1.41 | SCE Gen | CISO
SANWD_1_QF |  | San Gorgonio Farms Wind Farm |  |  | Forced | 31.00 | 12.20 | SCE Gen | CISO
SBERDO_2_PSP3 |  | Mountainview Gen Sta. Unit 3 |  |  | Forced | 555.00 | 0.32 | SCE Gen | CISO
SBERDO_2_PSP4 |  | Mountainview Gen Sta. Unit 4 |  |  | Forced | 555.00 | 6.32 | SCE Gen | CISO
SBERDO_2_SNTANA |  | SANTA ANA PSP |  |  | Forced | 6.95 | 6.95 | SCE Gen | CISO
SBERDO_6_MILLCK |  | MILL CREEK PSP |  |  | Forced | 3.93 | 2.53 | SCE Gen | CISO
SCAGS_1_UNIT_1 |  | Scattergood Generating Station UNIT 1 |  |  | Planned/Forced | 105.00 | 105.00 | LADWP Gen | LADWP
SCAGS_2_CC_4_5 |  | Scattergood Generating Station CC |  |  | Forced | 311.00 | 311.00 | LADWP Gen | LADWP
SCEW_2_PDRP10 |  | LCR AMS Hybrid Irvine 2-W-LSCE |  |  | Forced | 2.63 | 2.63 | SCE Gen | CISO
VICTOR_1_EXSLRA |  | Expressway Solar A |  |  | Forced | 2.00 | 1.00 | SCE Gen | CISO
VICTOR_1_VDRYFA |  | Victor Dry Farm Ranch A |  |  | Forced | 5.00 | 1.00 | SCE Gen | CISO
VILLPK_2_VALLYV |  | MWD Valley View Hydroelectric Recovery P |  |  | Forced | 4.10 | 4.10 | SCE Gen | CISO
VISTRA_5_DALBT1 |  | Dallas Energy Storage |  |  | Forced | 100.00 | 10.00 | PGAE Gen | CISO
VISTRA_5_DALBT2 |  | Dallas Energy Storage 2 |  |  | Forced | 100.00 | 12.00 | PGAE Gen | CISO
VISTRA_5_DALBT3 |  | Dallas Energy Storage 3 |  |  | Forced | 100.00 | 15.00 | PGAE Gen | CISO
VLCNTR_6_VCEBT1 |  | Valley Center Energy Storage |  |  | Forced | 54.00 | 54.00 | SDGE Gen | CISO
VLCNTR_6_VCEBT2 |  | Valley Center Energy Storage B |  |  | Forced | 85.00 | 85.00 | SDGE Gen | CISO
VOLTA_2_UNIT 1 |  | VOLTA HYDRO UNIT 1 |  |  | Forced | 9.10 | 9.10 | PGAE North | CISO
VOLTA_6_BAILCK |  | Bailey Creek Ranch |  |  | Forced | 0.63 | 0.57 | PGAE Gen | CISO
VOLTA_7_PONHY1 |  | Ponderosa Bailey Hydroelectric |  |  | Forced | 1.25 | 1.25 | PGAE Gen | CISO
VOYAGR_2_VOYWD4 |  | Voyager Wind 4 |  |  | Forced | 21.01 | 3.60 | SCE Gen | CISO
WADHAM_6_UNIT |  | Wadham Energy LP |  |  | Forced | 29.07 | 29.07 | PGAE North | CISO
WESCAN_2_BDSBT1 |  | Bateria Del Sur |  |  | Forced | 131.00 | 131.00 | SDGE Gen | CISO
WFRESN_1_SOLAR |  | Joya Del Sol |  |  | Forced | 1.50 | 0.75 | PGAE Gen | CISO
WHTWTR_1_WINDA1 |  | Whitewater Hill Wind Project |  |  | Forced | 61.50 | 13.50 | SCE Gen | CISO
WHT_2_UNIT1 |  | White Rock Powerhouse Unit 1 |  |  | Forced | 116.00 | 8.00 | BANC Gen | BANC
WHT_2_UNIT1 |  | White Rock Powerhouse Unit 1 |  |  | Forced | 116.00 | 8.00 | EIM SMUD | BANC
WHT_2_UNIT2 |  | White Rock Powerhouse Unit 2 |  |  | Forced | 133.00 | 28.00 | BANC Gen | BANC
WHT_2_UNIT2 |  | White Rock Powerhouse Unit 2 |  |  | Forced | 133.00 | 28.00 | EIM SMUD | BANC
WISE_1_UNIT 2 |  | WISE HYDRO UNIT 2 |  |  | Forced | 3.20 | 3.20 | PGAE North | CISO
WISHON_6_UNITS |  | Wishon/San Joaquin #1-A AGGREGATE |  |  | Forced | 18.40 | 18.40 | PGAE Gen | CISO
WISTER_2_WISSR1 |  | Wister Solar |  |  | Forced | 20.00 | 8.00 | SDGE Gen | CISO
WNDMAS_2_UNIT 1 |  | BUENA VISTA ENERGY, LLC |  |  | Forced | 38.00 | 2.00 | PGAE Gen | CISO
WSENGY_1_UNIT 1 |  | Wheelabrator Shasta |  |  | Forced | 50.00 | 16.00 | PGAE North | CISO
YELPIN_2_YP2BT1 |  | Yellow Pine 2 BESS |  |  | Forced | 65.00 | 65.00 | VEA Gen | CISO
YUBACT_1_SUNSWT |  | YUBA CITY COGEN |  |  | Forced | 49.97 | 49.97 | PGAE Gen | CISO
YUBACT_1_SUNSWT |  | YUBA CITY COGEN |  |  | Forced | 49.97 | 49.97 | PGAE North | CISO
ZOND_6_UNIT |  | ZOND WINDSYSTEMS INC. |  |  | Forced | 17.10 | 17.10 | PGAE Gen | CISO
CASADB_1_CD4GT1 |  | Casa Diablo 4 |  |  | Forced | 40.70 | 6.84 |  | CISO
CASCES_6_CESBT1 |  | Cascade Energy Storage |  |  | Forced | 25.00 | 25.00 |  | CISO
CLARIBEL_6_EROCKGEN |  | Enchanted Rock Claribel |  |  | Forced | 47.97 | 47.97 |  | BANC
CMBLND_2_DS2BT1 |  | Daggett 2 a BESS |  |  | Forced | 52.00 | 52.00 |  | CISO
CMBLND_2_DS2BT3 |  | Daggett 2 c BESS |  |  | Forced | 46.00 | 46.00 |  | CISO
CMBLND_2_DS2SR1 |  | Daggett 2 a PV |  |  | Forced | 65.00 | 65.00 |  | CISO
CMBLND_2_DS2SR3 |  | Daggett 2 c PV |  |  | Forced | 52.00 | 52.00 |  | CISO
DONPEDRO_6_MIDUNIT1 |  | Don Pedro Generation Station Unit 1 |  |  | Forced | 55.00 | 55.00 |  | BANC
DONPEDRO_6_MIDUNIT2 |  | Don Pedro Generation Station Unit 2 |  |  | Forced | 55.00 | 55.00 |  | BANC
DONPEDRO_6_MIDUNIT3 |  | Don Pedro Generation Station Unit 3 |  |  | Forced | 55.00 | 7.10 |  | BANC
DONPEDRO_6_MIDUNIT4 |  | Don Pedro Generation Station Unit 4 |  |  | Forced | 38.00 | 38.00 |  | BANC
BUCKCK_7_OAKFLT |  | Oak Flat |  |  | Forced | 1.30 | 1.30 | PGAE Gen | CISO
BUCKCK_7_PL1X2 |  | BUCKS CREEK AGGREGATE |  |  | Planned | 57.25 | 24.25 | PGAE Gen | CISO
CABALO_2_M2BSR1 |  | Mustang 2 Barbaro Solar |  |  | Forced | 50.00 | 22.40 | PGAE Gen | CISO
CALPIN_1_AGNEW |  | Agnews Power Plant |  |  | Forced | 28.56 | 0.56 | PGAE Gen | CISO
CAMPFW_7_FARWST |  | CAMP FAR WEST HYDRO |  |  | Forced | 6.80 | 6.80 | PGAE Gen | CISO
CAM_2_UNIT1 |  | Camino Powerhouse Unit 1 |  |  | Forced | 80.00 | 80.00 | BANC Gen | BANC
CAM_2_UNIT1 |  | Camino Powerhouse Unit 1 |  |  | Forced | 80.00 | 80.00 | EIM SMUD | BANC
CAPWD_1_QF |  | Edom Hills Wind Farm |  |  | Forced | 19.55 | 12.05 | SCE Gen | CISO
CARBOU_7_PL4X5 |  | CARIBOU PH 2 UNIT 4 &amp; 5 AGGREGATE |  |  | Planned/Forced | 120.00 | 60.00 | PGAE North | CISO
CARBOU_7_UNIT 1 |  | CARIBOU PH 1 UNIT 1 |  |  | Forced | 24.00 | 24.00 | PGAE North | CISO
CARLS1_2_CARCT1 |  | Carlsbad 1 |  |  | Forced | 422.00 | 422.00 | SDGE Gen | CISO
CARLS2_1_CARCT1 |  | Carlsbad 2 |  |  | Forced | 105.50 | 105.50 | SDGE Gen | CISO
CASPP_2_UNIT_5 |  | Castaic Power Plant UNIT 5 |  |  | Forced | 238.00 | 238.00 | LADWP Gen | LADWP
CASPP_2_UNIT_6 |  | Castaic Power Plant UNIT 6 |  |  | Forced | 238.00 | 18.00 | LADWP Gen | LADWP
CASPP_2_UNIT_7 |  | Castaic Power Plant UNIT 7 |  |  | Forced | 56.00 | 56.00 | LADWP Gen | LADWP
CENT40_1_C40SR1 |  | CENTRAL 40 |  |  | Forced | 40.00 | 5.00 | PGAE Gen | CISO
CENTER_2_RHONDO |  | MWD Rio Hondo Hydroelectric Recovery Pla |  |  | Forced | 1.91 | 1.91 | SCE Gen | CISO
CHALK_1_UNIT |  | CHALK CLIFF LIMITED |  |  | Forced | 48.67 | 3.77 | PGAE Gen | CISO
CHEVCO_6_UNIT 2 |  | AERA ENERGY LLC. (COALINGA) |  |  | Planned | 8.50 | 8.50 | PGAE Gen | CISO
CHEVCO_6_UNIT 2 |  | AERA ENERGY LLC. (COALINGA) |  |  | Planned | 8.50 | 8.50 | PGAE South | CISO
CHEVMN_2_UNITS |  | CHEVRON U.S.A. UNITS 1 &amp; 2 AGGREGATE |  |  | Forced | 124.87 | 124.87 | SCE Gen | CISO
CHICPK_7_UNIT 1 |  | Chicago Park Powerhouse |  |  | Forced | 42.00 | 42.00 | PGAE North | CISO
CHINO_2_APEBT1 |  | Pomona Energy Storage |  |  | Forced | 20.00 | 1.60 | SCE Gen | CISO
CIG_6_PL |  | Carson ICE CoGen |  |  | Forced | 61.00 | 6.00 | BANC Gen | BANC
CIG_6_PL |  | Carson ICE CoGen |  |  | Forced | 61.00 | 6.00 | EIM SMUD | BANC
COCOPP_2_CTG1 |  | Marsh Landing 1 |  |  | Forced | 204.20 | 5.67 | PGAE South | CISO
COCOPP_2_CTG2 |  | Marsh Landing 2 |  |  | Forced | 202.70 | 4.95 | PGAE South | CISO
COCOPP_2_CTG3 |  | Marsh Landing 3 |  |  | Forced | 208.96 | 12.00 | PGAE South | CISO
COCOPP_2_CTG4 |  | Marsh Landing 4 |  |  | Forced | 204.29 | 5.96 | PGAE South | CISO
COLGAT_7_UNIT 1 |  | Colgate Powerhouse Unit 1 |  |  | Forced | 176.72 | 21.72 | PGAE North | CISO
COLGAT_7_UNIT 2 |  | Colgate Powerhouse Unit 2 |  |  | Forced | 175.67 | 20.67 | PGAE North | CISO
COLTON_6_AGUAM1 |  | AGUA MANSA UNIT 1 (CITY OF COLTON) |  |  | Forced | 43.00 | 2.00 | SCE Gen | CISO
COLUSA_2_PL1X3 |  | Colusa Generating Station |  |  | Forced | 641.00 | 18.10 | PGAE North | CISO
CONTRL_1_LUNDY |  | LUNDY |  |  | Forced | 3.00 | 1.00 | SCE Gen | CISO
CONTRL_1_POOLE |  | POOLE HYDRO PLANT 1 |  |  | Forced | 10.90 | 10.30 | SCE Gen | CISO
CONTRL_1_RUSHCK |  | RUSH CREEK |  |  | Forced | 11.94 | 11.83 | SCE Gen | CISO
COVERD_2_HCKHY1 |  | HATCHET CREEK |  |  | Forced | 6.89 | 6.89 | PGAE Gen | CISO
COVERD_2_MCKHY1 |  | Montgomery Creek Hydro |  |  | Forced | 2.80 | 2.80 | PGAE Gen | CISO
COVERD_2_RCKHY1 |  | ROARING CREEK |  |  | Forced | 2.00 | 2.00 | PGAE Gen | CISO
COWCRK_2_UNIT |  | Cow Creek Hydro |  |  | Forced | 2.00 | 2.00 | PGAE Gen | CISO
CPP_2_PL |  | Cosumnes Power Plant |  |  | Planned/Forced | 612.00 | 27.00 | BANC Gen | BANC
CPP_2_PL |  | Cosumnes Power Plant |  |  | Planned/Forced | 612.00 | 27.00 | EIM SMUD | BANC
CRESTA_7_PL1X2 |  | CRESTA PH UNIT 1 &amp; 2 AGGREGATE |  |  | Forced | 70.40 | 39.03 | PGAE North | CISO
CRNEVL_6_SJQN 2 |  | SAN JOAQUIN 2 |  |  | Forced | 3.20 | 3.20 | PGAE Gen | CISO
CRSTWD_6_KUMYAY |  | Kumeyaay Wind Farm |  |  | Forced | 50.00 | 4.00 | SDGE Gen | CISO
CRWCKS_1_SOLAR1 |  | Crow Creek Solar 1 |  |  | Forced | 20.00 | 1.00 | PGAE Gen | CISO
CSCCOG_1_UNIT 1 |  | SANTA CLARA CO-GEN |  |  | Forced | 7.00 | 3.99 | PGAE South | CISO
CSG_2_PL |  | Campbell Soup Power Plant |  |  | Planned | 171.00 | 171.00 | BANC Gen | BANC
CSG_2_PL |  | Campbell Soup Power Plant |  |  | Planned | 171.00 | 171.00 | EIM SMUD | BANC
CUMBIA_1_SOLAR |  | Columbia Solar Energy II |  |  | Forced | 19.00 | 2.00 | PGAE Gen | CISO
Count of Resource ID | Outage Type Counts
BA | Forced |  | Planned | Planned/Forced
BANC | 30 |  | 6 | 7
LADWP | 16 |  | 0 | 5
CISO | 338 |  | 14 | 15
TIDC | 5 |  | 0 | 0
Grand Total | 389 |  | 20 | 27
BA | Sum of Capacity (MW) |  | Sum of Curtailed (MW)
BANC | 6155.23 |  | 1602.32
CISO | 34611.91 |  | 9094.87
LADWP | 4382 |  | 1735
TIDC | 84.8 |  | 59.8
Grand Total | 45233.94 |  | 12491.99
The content of these pages is subject to change without notice. Decisions based on information contained within the California ISO web site are the visitor's sole responsibility.