## Curtailed
Report Generated on : 10/11/2023 07:30:08 (PPT)
Trade Date: 10/11/2023
Curtailed and Non-Operational Generator AM Report
Resource ID |  | Resource Name |  |  | Outage Type | Capacity (MW) | Curtailed (MW) | Zone Name | BA
HAYGS_2_CC8_9_10 |  | Haynes Generating Station Combined Cycle |  |  | Planned | 575.00 | 575.00 | LADWP Gen | LADWP
SPRGVL_2_TULESC |  | TULE RIVER HYDRO PLANT (SCE) |  |  | Forced | 2.50 | 2.50 | SCE Gen | CISO
LECONT_2_LESBT1 |  | LeConte Energy Storage |  |  | Forced | 125.00 | 5.00 |  | CISO
MARSHALL_7_EROCKUNIT1 |  | EROCK MARSHALL UNIT 1 |  |  | Forced | 11.70 | 11.70 |  | TIDC
MARSHALL_7_EROCKUNIT2 |  | EROCK MARSHALL UNIT 2 |  |  | Forced | 11.70 | 11.70 |  | TIDC
MARSHALL_7_EROCKUNIT3 |  | EROCK MARSHALL UNIT 3 |  |  | Forced | 11.70 | 11.70 |  | TIDC
MARSHALL_7_EROCKUNIT4 |  | EROCK MARSHALL UNIT 4 |  |  | Forced | 11.70 | 11.70 |  | TIDC
MARVEL_2_MARBX2 |  | Marvel |  |  | Forced | 325.00 | 325.00 |  | CISO
MCFLND_5_MFSBT1 |  | McFarland Solar A BESS |  |  | Forced | 100.00 | 100.00 |  | CISO
MELONP_7_UNITS |  | New Melones Aggregation |  |  | Planned/Forced | 380.00 | 210.00 |  | BANC
MSOLAR_2_MS4SR4 |  | Mesquite Solar 4 |  |  | Forced | 52.50 | 52.50 |  | CISO
OASIS_6_AR4SR3 |  | Arrache 4013 |  |  | Forced | 1.50 | 1.50 |  | CISO
OASIS_6_LPPSR1 |  | Lancaster Psomas PV |  |  | Forced | 3.00 | 1.00 |  | CISO
OASIS_6_MA4SR1 |  | Ma 4035 |  |  | Forced | 1.50 | 1.50 |  | CISO
OASIS_6_VINSR1 |  | Vinam |  |  | Forced | 1.50 | 1.50 |  | CISO
OBERON_5_O2SSR4 |  | Oberon 2A Solar |  |  | Forced | 125.00 | 125.00 |  | CISO
OCOTLO_6_OCWSB1 |  | Ocotillo Wells Solar and BESS |  |  | Planned/Forced | 50.00 | 50.00 |  | CISO
OTAY_6_ECVBT1 |  | EnerSmart Chula Vista 1 |  |  | Forced | 3.00 | 3.00 |  | CISO
PEASE_1_TBEBT1 |  | Tierra Buena Energy Storage |  |  | Forced | 6.00 | 2.60 |  | CISO
POLRIS_2_ASEBT1 |  | Antelope Solar 2 Estrella BESS |  |  | Forced | 28.00 | 28.00 |  | CISO
POLRIS_2_ASESR1 |  | Antelope Solar 2 Estrella |  |  | Forced | 56.00 | 56.00 |  | CISO
POLRIS_2_ASRSR1 |  | Antelope Solar 2 Raceway |  |  | Planned | 125.00 | 125.00 |  | CISO
RDGPOWER_1_UNIT1 |  | REDDING GT 1 |  |  | Planned | 18.00 | 18.00 |  | BANC
RDGPOWER_1_UNIT2 |  | REDDING GT 2 |  |  | Planned | 26.00 | 26.00 |  | BANC
RDGPOWER_1_UNIT3 |  | REDDING GT 3 |  |  | Planned | 26.00 | 26.00 |  | BANC
RDGPOWER_1_UNIT4-6 |  | REDDING CC 4-6 |  |  | Forced | 126.00 | 16.00 |  | BANC
REP_6_UNITS |  | Roseville Energy Park |  |  | Forced | 164.00 | 108.00 |  | BANC
RP2_2_SOLAR |  | Rancho Seco Solar II |  |  | Forced | 160.00 | 87.00 |  | BANC
RPEAK_6_UNITS |  | Roseville Peakers TM2500 |  |  | Forced | 55.00 | 55.00 |  | BANC
RPP2_6_CTG1 |  | Roseville Power Plant 2 CT1 |  |  | Forced | 24.00 | 2.00 |  | BANC
RPP2_6_CTG2 |  | Roseville Power Plant 2 CT2 |  |  | Forced | 24.00 | 2.00 |  | BANC
RUSSELL_2_SOLANO1 |  | Solano Renewables 1 |  |  | Forced | 229.98 | 15.18 |  | CISO
SANBRN_2_SS2BT3 |  | Sanborn Solar 2 SBESS 3 |  |  | Forced | 169.00 | 149.00 |  | CISO
SANBRN_2_SS2BT4 |  | Sanborn Solar 2 SBESS 4 |  |  | Forced | 47.00 | 47.00 |  | CISO
SHASTRD_7_UNITS |  | Shasta and Trinity River Division Agg |  |  | Planned/Forced | 1265.00 | 190.00 |  | BANC
SISPRG_2_DS3BT1 |  | Daggett Solar 3 a BESS |  |  | Forced | 61.50 | 61.50 |  | CISO
SISPRG_2_DS3SR1 |  | Daggett Solar 3 a PV |  |  | Forced | 123.00 | 123.00 |  | CISO
SPRGVL_2_EXETPV |  | Exeter Tulare PV |  |  | Forced | 3.50 | 3.50 |  | CISO
STANTN_2_SBEBX2 |  | Stanton Battery Energy Storage |  |  | Forced | 68.80 | 2.50 |  | CISO
STRAUS_1_STRWD1 |  | Strauss Wind, LLC |  |  | Forced | 91.20 | 68.20 |  | CISO
SUNCAT_2_A2BSR2 |  | Arlington Solar Unit 2B |  |  | Forced | 133.00 | 93.00 |  | CISO
SUTTER_2_PSEUDOBANC |  | SUTTER_2_PSEUDOBANC |  |  | Forced | 275.00 | 17.00 |  | BANC
TVYVLY_6_KRSHY1 |  | Kings River Syphon |  |  | Forced | 1.30 | 1.30 |  | CISO
VESTAL_2_TS5SR1 |  | Tulare Solar 5 |  |  | Forced | 55.83 | 18.83 |  | CISO
CPP_2_PL |  | Cosumnes Power Plant |  |  | Forced | 612.00 | 35.00 | BANC Gen | BANC
CPP_2_PL |  | Cosumnes Power Plant |  |  | Forced | 612.00 | 35.00 | EIM SMUD | BANC
CRESTA_7_PL1X2 |  | CRESTA PH UNIT 1 &amp; 2 AGGREGATE |  |  | Forced | 70.40 | 64.52 | PGAE North | CISO
CRIMSN_2_CRMBT1 |  | Crimson |  |  | Forced | 200.00 | 120.00 | SCE Gen | CISO
CRNEVL_6_SJQN 2 |  | SAN JOAQUIN 2 |  |  | Forced | 3.20 | 3.20 | PGAE Gen | CISO
CRSTWD_6_KUMYAY |  | Kumeyaay Wind Farm |  |  | Forced | 50.00 | 6.00 | SDGE Gen | CISO
CRWCKS_1_SOLAR1 |  | Crow Creek Solar 1 |  |  | Forced | 20.00 | 2.00 | PGAE Gen | CISO
CSCCOG_1_UNIT 1 |  | SANTA CLARA CO-GEN |  |  | Forced | 7.00 | 3.99 | PGAE South | CISO
CSG_2_PL |  | Campbell Soup Power Plant |  |  | Planned | 171.00 | 171.00 | BANC Gen | BANC
CSG_2_PL |  | Campbell Soup Power Plant |  |  | Planned | 171.00 | 171.00 | EIM SMUD | BANC
CUMBIA_1_SOLAR |  | Columbia Solar Energy II |  |  | Forced | 19.00 | 2.00 | PGAE Gen | CISO
DAIRLD_1_MD2BM1 |  | Madera Digester Genset 2 |  |  | Planned | 0.80 | 0.80 | PGAE Gen | CISO
DEADCK_1_UNIT |  | DEADCK_1_UNIT |  |  | Planned/Forced | 1.96 | 1.96 | PGAE Gen | CISO
DELSUR_6_DRYFRB |  | Dry Farm Ranch B |  |  | Forced | 5.00 | 2.00 | SCE Gen | CISO
DELTA_2_PL1X4 |  | DELTA ENERGY CENTER AGGREGATE |  |  | Forced | 880.00 | 11.00 | PGAE Gen | CISO
DIABLO_7_UNIT 1 |  | Diablo Canyon Unit 1 |  |  | Planned/Forced | 1150.00 | 1150.00 | PGAE South | CISO
DONNLS_7_UNIT |  | Donnells Hydro |  |  | Forced | 72.00 | 72.00 | PGAE Gen | CISO
DONPEDRO_6_UNIT4 |  | Don Pedro Unit 4 |  |  | Forced | 38.00 | 13.00 | TID Gen | TIDC
DOUBLC_1_UNITS |  | DOUBLE C LIMITED |  |  | Forced | 52.23 | 2.13 | PGAE South | CISO
DRACKR_2_DSUBT1 |  | Dracker Solar Unit 1 BESS |  |  | Planned | 63.00 | 8.00 | SCE Gen | CISO
DRACKR_2_DSUBT2 |  | Dracker Solar Unit 2 BESS |  |  | Forced | 115.00 | 4.00 | SCE Gen | CISO
DRACKR_2_DSUBT4 |  | Dracker Solar Unit 4 BESS |  |  | Forced | 47.00 | 6.74 | SCE Gen | CISO
DSFLWR_2_WS2SR1 |  | Willow Springs 2 |  |  | Forced | 100.00 | 3.00 | SCE Gen | CISO
DSRTHV_2_DH2BT1 |  | Desert Harvest BESS |  |  | Forced | 35.00 | 18.40 | SCE Gen | CISO
DSRTSL_2_SOLAR1 |  | Desert Stateline |  |  | Forced | 296.19 | 9.19 | SCE Gen | CISO
DSRTSN_2_DS2X2 |  | Desert Sunlight PV II Storage |  |  | Forced | 230.00 | 30.00 | SCE Gen | CISO
DUANE_1_PL1X3 |  | DONALD VON RAESFELD POWER PROJECT |  |  | Forced | 147.80 | 7.80 | PGAE South | CISO
DVLCYN_1_UNITS |  | DEVIL CANYON HYDRO UNITS 1-4 AGGREGATE |  |  | Planned | 235.00 | 15.00 | SCE Gen | CISO
EASTWD_7_UNIT |  | EASTWOOD PUMP-GEN |  |  | Planned/Forced | 200.00 | 200.00 | SCE Gen | CISO
EDMONS_2_NSPIN |  | EDMONS_2_NSPIN |  |  | Forced | 775.80 | 45.80 | SCE Gen | CISO
EDWARD_2_ESSSB1 |  | Sanborn Solar 2 Edwards 5 |  |  | Forced | 116.00 | 116.00 | SCE Gen | CISO
EEKTMN_6_SOLAR1 |  | EE K Solar 1 |  |  | Forced | 20.00 | 3.00 | PGAE South | CISO
ELCAJN_6_EB1BT1 |  | Eastern BESS 1 |  |  | Planned | 7.50 | 1.50 | SDGE Gen | CISO
ELCAJN_6_LM6K |  | El Cajon Energy Center |  |  | Forced | 48.10 | 23.10 | SDGE Gen | CISO
ELDORO_7_UNIT 1 |  | El Dorado Unit 1 |  |  | Planned/Forced | 11.00 | 11.00 | PGAE North | CISO
ELDORO_7_UNIT 2 |  | El Dorado Unit 2 |  |  | Planned/Forced | 11.00 | 11.00 | PGAE North | CISO
ELKCRK_6_STONYG |  | STONEY GORGE HYDRO AGGREGATE |  |  | Forced | 4.90 | 4.90 | PGAE Gen | CISO
ELKHIL_2_PL1X3 |  | ELK HILLS COMBINED CYCLE (AGGREGATE) |  |  | Forced | 551.70 | 44.70 | PGAE Gen | CISO
ELKHRN_1_EESX3 |  | Elkhorn Energy Storage |  |  | Forced | 182.50 | 7.50 | PGAE Gen | CISO
HAYGS_2_UNIT_1 |  | Haynes Generating Station UNIT 1 |  |  | Forced | 222.00 | 29.00 | LADWP Gen | LADWP
HAYGS_2_UNIT_11 |  | Haynes Generating Station UNIT 11 |  |  | Forced | 96.00 | 96.00 | LADWP Gen | LADWP
HAYGS_2_UNIT_12 |  | Haynes Generating Station UNIT 12 |  |  | Forced | 96.00 | 96.00 | LADWP Gen | LADWP
HAYGS_2_UNIT_13 |  | Haynes Generating Station UNIT 13 |  |  | Forced | 96.00 | 96.00 | LADWP Gen | LADWP
HAYGS_2_UNIT_14 |  | Haynes Generating Station UNIT 14 |  |  | Forced | 96.00 | 96.00 | LADWP Gen | LADWP
HAYGS_2_UNIT_15 |  | Haynes Generating Station UNIT 15 |  |  | Forced | 96.00 | 96.00 | LADWP Gen | LADWP
HAYGS_2_UNIT_16 |  | Haynes Generating Station UNIT 16 |  |  | Forced | 96.00 | 96.00 | LADWP Gen | LADWP
HAYGS_2_UNIT_2 |  | Haynes Generating Station UNIT 2 |  |  | Forced | 222.00 | 222.00 | LADWP Gen | LADWP
HAYPRS_6_HAYHD1 |  | Haypress Lower |  |  | Forced | 5.80 | 5.80 | PGAE Gen | CISO
HAYPRS_6_HAYHD2 |  | Haypress Middle |  |  | Forced | 6.70 | 6.70 | PGAE Gen | CISO
HELMPG_7_UNIT 1 |  | HELMS PUMP-GEN UNIT 1 |  |  | Planned | 407.00 | 407.00 | PGAE South | CISO
HELMPG_7_UNIT 2 |  | HELMS PUMP-GEN UNIT 2 |  |  | Forced | 407.00 | 407.00 | PGAE South | CISO
HENRTA_6_SOLAR1 |  | Lemoore 1 |  |  | Forced | 1.50 | 1.50 | PGAE Gen | CISO
HIGHDS_2_H5SBT1 |  | High 5 Solar BESS |  |  | Forced | 50.00 | 11.60 | SCE Gen | CISO
HNTGBH_2_PL1X3 |  | Huntington Beach Energy |  |  | Forced | 673.80 | 3.80 | SCE Gen | CISO
HUMBPP_1_UNITS3 |  | Humboldt Bay Generating Station 3 |  |  | Planned/Forced | 65.08 | 16.27 | PGAE North | CISO
INDIGO_1_UNIT 1 |  | INDIGO PEAKER UNIT 1 |  |  | Forced | 45.30 | 9.80 | SCE Gen | CISO
INDIGO_1_UNIT 2 |  | INDIGO PEAKER UNIT 2 |  |  | Forced | 45.30 | 9.65 | SCE Gen | CISO
INDIGO_1_UNIT 3 |  | INDIGO PEAKER UNIT 3 |  |  | Forced | 45.30 | 10.80 | SCE Gen | CISO
INDVLY_1_UNITS |  | Indian Valley Hydro |  |  | Forced | 3.01 | 3.01 | PGAE North | CISO
INTKEP_2_UNITS |  | CCSF Hetch_Hetchy Hydro Aggregate |  |  | Planned/Forced | 405.00 | 145.00 | PGAE Gen | CISO
IVSLRP_2_SOLAR1 |  | Silver Ridge Mount Signal |  |  | Forced | 200.00 | 60.00 | SDGE Gen | CISO
JAWBNE_2_NSRWND |  | North Sky River Wind Project |  |  | Forced | 160.00 | 8.00 | SCE Gen | CISO
JAWBNE_2_SRWND |  | Sky River Wind Repower A |  |  | Forced | 30.00 | 9.00 | SCE Gen | CISO
JAWBNE_2_SRWWD2 |  | Sky River Wind Repower B |  |  | Forced | 30.20 | 5.20 | SDGE Gen | CISO
JAY_2_UNIT1 |  | Jaybird Powerhouse Unit 1 |  |  | Planned/Forced | 76.00 | 76.00 | BANC Gen | BANC
JAY_2_UNIT1 |  | Jaybird Powerhouse Unit 1 |  |  | Planned/Forced | 76.00 | 76.00 | EIM SMUD | BANC
JAY_2_UNIT2 |  | Jaybird Powerhouse Unit 2 |  |  | Planned/Forced | 76.00 | 76.00 | BANC Gen | BANC
JAY_2_UNIT2 |  | Jaybird Powerhouse Unit 2 |  |  | Planned/Forced | 76.00 | 76.00 | EIM SMUD | BANC
JFK_6_UNIT |  | Jones Fork Powerhouse |  |  | Planned | 10.00 | 10.00 | BANC Gen | BANC
JFK_6_UNIT |  | Jones Fork Powerhouse |  |  | Planned | 10.00 | 10.00 | EIM SMUD | BANC
JOHANN_2_JOSBT2 |  | Johanna Storage 2 |  |  | Forced | 10.00 | 1.00 | SDGE Gen | CISO
KEKAWK_6_UNIT |  | STS HYDROPOWER LTD. (KEKAWAKA) |  |  | Forced | 5.50 | 5.50 | PGAE Gen | CISO
KELSO_2_UNITS |  | Mariposa Energy |  |  | Forced | 198.03 | 7.47 | PGAE Gen | CISO
KERKH2_7_UNIT 1 |  | KERKHOFF PH 2 UNIT #1 |  |  | Planned | 153.90 | 153.90 | PGAE South | CISO
KERMAN_6_SOLAR2 |  | Fresno Solar West |  |  | Forced | 1.50 | 0.75 | PGAE South | CISO
KERNFT_1_UNITS |  | KERN FRONT LIMITED |  |  | Forced | 52.40 | 2.30 | PGAE South | CISO
KERRGN_1_UNIT 1 |  | KERN RIVER HYDRO UNITS 1-4 AGGREGATE |  |  | Forced | 25.60 | 7.10 | SCE Gen | CISO
KINGRV_7_UNIT 1 |  | KINGS RIVER HYDRO UNIT 1 |  |  | Planned | 51.20 | 51.20 | PGAE South | CISO
LAKHDG_6_UNIT 1 |  | Lake Hodges Pumped Storage-Unit1 |  |  | Planned | 20.00 | 20.00 | SDGE Gen | CISO
LAKHDG_6_UNIT 2 |  | Lake Hodges Pumped Storage-Unit2 |  |  | Planned | 20.00 | 20.00 | SDGE Gen | CISO
LAMONT_1_SOLAR3 |  | Woodmere Solar Farm |  |  | Forced | 14.99 | 1.69 | PGAE Gen | CISO
OCTILO_5_WIND |  | Ocotillo Wind Energy Facility |  |  | Forced | 265.00 | 17.00 | SDGE Gen | CISO
OGROVE_6_PL1X2 |  | Orange Grove Energy Center |  |  | Planned | 96.00 | 96.00 | SDGE Gen | CISO
OILFLD_7_QFUNTS |  | Nacimiento Hydroelectric Plant |  |  | Forced | 3.80 | 0.85 | PGAE South | CISO
OLINDA_2_COYCRK |  | MWD Coyote Creek Hydroelectric Recovery |  |  | Forced | 3.13 | 3.13 | SCE Gen | CISO
OLINDA_2_LNDFL2 |  | Brea Power II |  |  | Forced | 28.10 | 4.60 | SCE Gen | CISO
ORLND_6_HIGHLI |  | High Line Canal Hydro |  |  | Forced | 0.50 | 0.50 | PGAE Gen | CISO
OROVIL_6_UNIT |  | Oroville Cogeneration, LP |  |  | Forced | 7.50 | 7.50 | PGAE Gen | CISO
OTMESA_2_PL1X3 |  | OTAY MESA ENERGY CENTER |  |  | Forced | 603.68 | 19.68 | SDGE Gen | CISO
OXBOW_6_DRUM |  | OXBOW HYDRO |  |  | Planned | 5.80 | 5.80 | PGAE North | CISO
OXMTN_6_LNDFIL |  | Ox Mountain Landfill Generating Plant |  |  | Forced | 10.62 | 1.12 | PGAE South | CISO
PACLUM_6_UNIT |  | Humboldt Redwood |  |  | Forced | 28.80 | 6.80 | PGAE Gen | CISO
PACLUM_6_UNIT |  | Humboldt Redwood |  |  | Forced | 28.80 | 6.80 | PGAE North | CISO
PADUA_2_ONTARO |  | ONTARIO/SIERRA HYDRO PSP |  |  | Forced | 1.92 | 0.92 | SCE Gen | CISO
PALALT_7_COBUG |  | Cooperatively Owned Back Up Generator |  |  | Forced | 4.50 | 4.50 | PGAE Gen | CISO
PALOMR_2_PL1X3 |  | Palomar Energy Center |  |  | Planned/Forced | 588.21 | 588.21 | SDGE Gen | CISO
PARDEB_6_UNITS |  | Pardee Power House |  |  | Forced | 30.00 | 10.10 | PGAE Gen | CISO
PEORIA_1_SOLAR |  | Sonora 1 |  |  | Forced | 1.50 | 0.50 | PGAE Gen | CISO
PGG_2_PL |  | Procter &amp; Gamble CoGen |  |  | Planned/Forced | 126.00 | 68.00 | BANC Gen | BANC
PGG_2_PL |  | Procter &amp; Gamble CoGen |  |  | Planned/Forced | 126.00 | 68.00 | EIM SMUD | BANC
PINFLT_7_UNITS |  | PINE FLAT HYDRO AGGREGATE |  |  | Forced | 198.51 | 144.51 | PGAE Gen | CISO
PIOPIC_2_CTG1 |  | Pio Pico Unit 1 |  |  | Forced | 111.30 | 5.69 | SDGE Gen | CISO
PIOPIC_2_CTG2 |  | Pio Pico Unit 2 |  |  | Forced | 112.70 | 4.29 | SDGE Gen | CISO
PIOPIC_2_CTG3 |  | Pio Pico Unit 3 |  |  | Forced | 112.00 | 4.91 | SDGE Gen | CISO
PIT1_7_UNIT 1 |  | PIT PH 1 UNIT 1 |  |  | Planned | 32.00 | 32.00 | PGAE North | CISO
PIT1_7_UNIT 2 |  | PIT PH 1 UNIT 2 |  |  | Planned | 32.00 | 32.00 | PGAE North | CISO
PIT6_7_UNIT 1 |  | PIT PH 6 UNIT 1 |  |  | Planned | 39.00 | 39.00 | PGAE North | CISO
PIT6_7_UNIT 2 |  | PIT PH 6 UNIT 2 |  |  | Planned | 40.00 | 40.00 | PGAE North | CISO
PIT7_7_UNIT 1 |  | PIT PH 7 UNIT 1 |  |  | Forced | 55.70 | 2.45 | PGAE North | CISO
PIT7_7_UNIT 2 |  | PIT PH 7 UNIT 2 |  |  | Forced | 54.60 | 1.35 | PGAE North | CISO
PLAINV_6_SOLAR3 |  | Sierra Solar Greenworks LLC |  |  | Forced | 20.00 | 2.00 | SCE Gen | CISO
PMDLET_6_SOLAR1 |  | SEPV Palmdale East, LLC |  |  | Forced | 10.00 | 1.00 | SCE Gen | CISO
PNCHEG_2_PL1X4 |  | PANOCHE ENERGY CENTER (Aggregated) |  |  | Planned/Forced | 417.00 | 213.00 | PGAE Gen | CISO
PNCHPP_1_PL1X2 |  | Midway Peaking Aggregate |  |  | Forced | 119.91 | 119.91 | PGAE Gen | CISO
PNOCHE_1_UNITA1 |  | CalPeak Power Panoche Unit 1 |  |  | Forced | 52.30 | 52.30 | PGAE Gen | CISO
POEPH_7_UNIT 1 |  | POE HYDRO UNIT 1 |  |  | Forced | 68.00 | 66.00 | PGAE North | CISO
POEPH_7_UNIT 2 |  | POE HYDRO UNIT 2 |  |  | Forced | 68.50 | 66.50 | PGAE North | CISO
PTRPP_2_SOLAR |  | Pine Tree Solar Power Plant |  |  | Forced | 10.00 | 4.00 | LADWP Gen | LADWP
PTRPP_2_WIND |  | Pine Tree Wind Power Plant |  |  | Forced | 135.00 | 94.50 | LADWP Gen | LADWP
PWEST_1_UNIT |  | PACIFIC WEST 1 WIND GENERATION |  |  | Forced | 2.10 | 2.10 | SCE Gen | CISO
RAMON_2_SCEDYN |  | RAMON_2_SCEDYN |  |  | Forced | 106.18 | 61.18 | SCE Gen | CISO
RCKCRK_7_UNIT 1 |  | ROCK CREEK HYDRO UNIT 1 |  |  | Forced | 57.00 | 57.00 | PGAE North | CISO
RDCLD_3_WIND |  | Red Cloud Wind Power Plant |  |  | Forced | 331.00 | 33.00 | LADWP Gen | LADWP
RECTOR_2_KAWEAH |  | KAWEAH PH 2 &amp; 3 PSP AGGREGATE |  |  | Forced | 6.55 | 6.55 | SCE Gen | CISO
RECTOR_2_KAWH 1 |  | KAWEAH PH 1 UNIT 1 |  |  | Forced | 2.25 | 2.25 | SCE Gen | CISO
RECTOR_2_QF |  | Kaweah Unit 1 |  |  | Forced | 20.09 | 20.09 | SCE Gen | CISO
RENWD_1_QF |  | Renwind re-powering project |  |  | Forced | 10.00 | 4.00 | SCE Gen | CISO
RICHMN_7_BAYENV |  | BAY ENVIRONMENTAL (NOVE POWER) |  |  | Forced | 2.50 | 2.50 | PGAE Gen | CISO
STANTN_2_STAGT2 |  | Stanton 2 |  |  | Forced | 49.65 | 0.43 | SCE Gen | CISO
STIGCT_2_LODI |  | LODI STIG UNIT |  |  | Forced | 49.90 | 3.90 | PGAE Gen | CISO
SUNCAT_2_A1ABT1 |  | Arlington Solar Unit 1A BESS |  |  | Planned | 47.00 | 25.00 | SCE Gen | CISO
SUNCAT_2_A1BBT1 |  | Arlington Solar Unit 1B BESS |  |  | Planned | 63.00 | 25.00 | SCE Gen | CISO
SUNCAT_2_A2ABT2 |  | Arlington Solar Unit 2A BESS |  |  | Forced | 132.00 | 35.00 | SCE Gen | CISO
SUNRIS_2_PL1X3 |  | Sunrise Power Project AGGREGATE II |  |  | Forced | 586.02 | 35.00 | PGAE Gen | CISO
SUNSET_2_UNITS |  | MIDWAY SUNSET COGENERATION PLANT |  |  | Planned/Forced | 248.00 | 8.00 | PGAE South | CISO
SUNSLR_1_SSVSR1 |  | Sunshine Valley Solar 1 |  |  | Forced | 100.00 | 25.00 | VEA Gen | CISO
TEHAPI_2_PW1WD1 |  | Point Wind 1 |  |  | Forced | 47.49 | 2.30 | SCE Gen | CISO
TEHAPI_2_PW2WD2 |  | Point Wind 2 |  |  | Forced | 14.40 | 14.40 | SCE Gen | CISO
TERMEX_2_PL1X3 |  | TDM |  |  | Forced | 625.00 | 16.00 | SDGE Gen | CISO
TIDWTR_2_UNITS |  | MARTINEZ COGEN LIMITED PARTNERSHIP |  |  | Forced | 114.80 | 84.80 | PGAE Gen | CISO
TIFFNY_1_DILLON |  | TIFFNY_1_DILLON |  |  | Planned/Forced | 45.00 | 9.07 | SCE Gen | CISO
TOPAZ_2_SOLAR |  | Topaz Solar Farms |  |  | Planned/Forced | 550.00 | 550.00 | PGAE South | CISO
TRNQLT_2_RETBT1 |  | RE Tranquillity BESS |  |  | Forced | 72.00 | 7.00 | PGAE Gen | CISO
TRNQLT_2_SOLAR |  | Tranquillity |  |  | Forced | 200.00 | 5.50 | PGAE Gen | CISO
TRNSWD_1_QF |  | FPL Energy C Wind |  |  | Forced | 38.97 | 35.97 | SCE Gen | CISO
TXMCKT_6_UNIT |  | McKittrick Cogen |  |  | Forced | 11.20 | 6.20 | PGAE South | CISO
ULTPCH_1_UNIT 1 |  | Pacific Ultrapower Chinese Station |  |  | Planned | 18.00 | 18.00 | PGAE North | CISO
ULTRCK_2_UNIT |  | Rio Bravo Rocklin |  |  | Planned | 24.40 | 24.40 | PGAE North | CISO
UNCHEM_1_UNIT |  | CONTRA COSTA CARBON PLANT |  |  | Forced | 19.00 | 19.00 | PGAE Gen | CISO
UNV_2_UNIT |  | Union Valley Powerhouse |  |  | Planned | 46.00 | 46.00 | BANC Gen | BANC
UNV_2_UNIT |  | Union Valley Powerhouse |  |  | Planned | 46.00 | 46.00 | EIM SMUD | BANC
USWND2_1_WIND2 |  | Golden Hills B |  |  | Forced | 42.96 | 5.37 | PGAE Gen | CISO
USWND2_1_WIND3 |  | Golden Hills C |  |  | Forced | 46.00 | 7.00 | PGAE Gen | CISO
USWNDR_2_SMUD |  | SOLANO WIND FARM |  |  | Planned | 102.18 | 15.18 | PGAE Gen | CISO
USWPJR_2_UNITS |  | Vasco Wind |  |  | Forced | 78.20 | 2.30 | PGAE Gen | CISO
VALGS_2_CC_6_7_8 |  | Valley Generating Station Combined Cycle |  |  | Forced | 533.00 | 47.00 | LADWP Gen | LADWP
VALLEY_5_PERRIS |  | MWD Perris Hydroelectric Recovery Plant |  |  | Forced | 7.94 | 7.94 | SCE Gen | CISO
VEDDER_1_SEKERN |  | TEXACO EXPLORATION &amp; PROD (SE KERN RIVER |  |  | Forced | 34.47 | 12.47 | PGAE Gen | CISO
VESTAL_2_KERN |  | KERN RIVER PH 3 UNITS 1 &amp; 2 AGGREGATE |  |  | Forced | 36.80 | 13.80 | SCE Gen | CISO
VESTAL_6_QF |  | Isabella Hydro Dam 1 |  |  | Forced | 11.95 | 11.95 | SCE Gen | CISO
VICTOR_1_VDRYFB |  | Victor Dry Farm Ranch B |  |  | Forced | 5.00 | 1.00 | SCE Gen | CISO
VILLPK_2_VALLYV |  | MWD Valley View Hydroelectric Recovery P |  |  | Forced | 4.10 | 4.10 | SCE Gen | CISO
VISTRA_5_DALBT1 |  | Dallas Energy Storage |  |  | Forced | 100.00 | 5.00 | PGAE Gen | CISO
VISTRA_5_DALBT2 |  | Dallas Energy Storage 2 |  |  | Forced | 100.00 | 15.00 | PGAE Gen | CISO
VISTRA_5_DALBT3 |  | Dallas Energy Storage 3 |  |  | Forced | 100.00 | 12.00 | PGAE Gen | CISO
VLCNTR_6_VCEBT1 |  | Valley Center Energy Storage |  |  | Forced | 54.00 | 54.00 | SDGE Gen | CISO
VLCNTR_6_VCEBT2 |  | Valley Center Energy Storage B |  |  | Forced | 85.00 | 85.00 | SDGE Gen | CISO
VOLTA_2_UNIT 1 |  | VOLTA HYDRO UNIT 1 |  |  | Forced | 9.10 | 9.10 | PGAE North | CISO
VOLTA_6_BAILCK |  | Bailey Creek Ranch |  |  | Forced | 0.63 | 0.57 | PGAE Gen | CISO
VOLTA_7_PONHY1 |  | Ponderosa Bailey Hydroelectric |  |  | Forced | 1.25 | 1.25 | PGAE Gen | CISO
VOYAGR_2_VOYWD4 |  | Voyager Wind 4 |  |  | Forced | 21.01 | 3.60 | SCE Gen | CISO
WALNUT_6_HILLGEN |  | Puente Hills |  |  | Planned | 47.00 | 47.00 | SCE Gen | CISO
WARNE_2_UNIT |  | WARNE HYDRO AGGREGATE |  |  | Planned | 76.00 | 76.00 | SCE Gen | CISO
WDLEAF_7_UNIT 1 |  | WOODLEAF HYDRO |  |  | Planned | 60.00 | 60.00 | PGAE North | CISO
WFRESN_1_SOLAR |  | Joya Del Sol |  |  | Forced | 1.50 | 0.75 | PGAE Gen | CISO
ELK_6_RSS |  | Rancho Seco |  |  | Forced | 10.88 | 3.88 | BANC Gen | BANC
LAMONT_1_SOLAR4 |  | Hayworth Solar Farm |  |  | Forced | 26.66 | 3.36 | PGAE South | CISO
WHTWTR_1_WINDA1 |  | Whitewater Hill Wind Project |  |  | Forced | 61.50 | 13.50 | SCE Gen | CISO
WHT_2_UNIT1 |  | White Rock Powerhouse Unit 1 |  |  | Forced | 116.00 | 8.00 | BANC Gen | BANC
WHT_2_UNIT1 |  | White Rock Powerhouse Unit 1 |  |  | Forced | 116.00 | 8.00 | EIM SMUD | BANC
WHT_2_UNIT2 |  | White Rock Powerhouse Unit 2 |  |  | Forced | 133.00 | 28.00 | BANC Gen | BANC
WHT_2_UNIT2 |  | White Rock Powerhouse Unit 2 |  |  | Forced | 133.00 | 28.00 | EIM SMUD | BANC
WISE_1_UNIT 2 |  | WISE HYDRO UNIT 2 |  |  | Forced | 3.20 | 3.20 | PGAE North | CISO
WISHON_6_UNITS |  | Wishon/San Joaquin #1-A AGGREGATE |  |  | Forced | 18.40 | 18.40 | PGAE Gen | CISO
WISTER_2_WISSR1 |  | Wister Solar |  |  | Forced | 20.00 | 4.00 | SDGE Gen | CISO
WNDSTR_2_WIND |  | Windstar |  |  | Forced | 120.00 | 60.00 | SCE Gen | CISO
WRGTSR_2_WSFSR1 |  | Wright Solar Freeman |  |  | Forced | 200.00 | 6.95 | PGAE Gen | CISO
WSENGY_1_UNIT 1 |  | Wheelabrator Shasta |  |  | Forced | 50.00 | 16.00 | PGAE North | CISO
YELPIN_2_YP2BT1 |  | Yellow Pine 2 BESS |  |  | Planned | 65.00 | 57.60 | VEA Gen | CISO
YUCCA_1_YUCCGT21 |  | YUCCA_1_YUCCGT21 |  |  | Planned | 22.00 | 22.00 | IID Gen | IID
ZOND_6_UNIT |  | ZOND WINDSYSTEMS INC. |  |  | Forced | 17.10 | 17.10 | PGAE Gen | CISO
CASADB_1_CD4GT1 |  | Casa Diablo 4 |  |  | Forced | 40.70 | 4.80 |  | CISO
CASCES_6_CESBT1 |  | Cascade Energy Storage |  |  | Forced | 25.00 | 25.00 |  | CISO
CHINO_2_PESBT1 |  | Pomona Energy Storage 2 |  |  | Forced | 20.00 | 2.60 |  | CISO
CLARIBEL_6_EROCKGEN |  | Enchanted Rock Claribel |  |  | Forced | 47.97 | 47.97 |  | BANC
CMBLND_2_DS2BT1 |  | Daggett 2 a BESS |  |  | Forced | 52.00 | 52.00 |  | CISO
CMBLND_2_DS2SR1 |  | Daggett 2 a PV |  |  | Forced | 65.00 | 65.00 |  | CISO
CMBLND_2_DS2SR3 |  | Daggett 2 c PV |  |  | Forced | 52.00 | 52.00 |  | CISO
CRELMN_6_AABBT1 |  | Air Attack Base |  |  | Forced | 0.47 | 0.47 |  | CISO
DONPEDRO_6_MIDUNIT1 |  | Don Pedro Generation Station Unit 1 |  |  | Forced | 55.00 | 55.00 |  | BANC
DONPEDRO_6_MIDUNIT2 |  | Don Pedro Generation Station Unit 2 |  |  | Forced | 55.00 | 55.00 |  | BANC
DONPEDRO_6_MIDUNIT3 |  | Don Pedro Generation Station Unit 3 |  |  | Forced | 55.00 | 7.10 |  | BANC
DONPEDRO_6_MIDUNIT4 |  | Don Pedro Generation Station Unit 4 |  |  | Forced | 38.00 | 38.00 |  | BANC
FIFTHS_2_FSSR1 |  | Fifth Standard Solar |  |  | Forced | 150.00 | 150.00 |  | CISO
FOLSOM_7_UNITS |  | Folsom and Nimbus Aggregation |  |  | Planned/Forced | 224.00 | 25.00 |  | BANC
HAMLIN_1_BLDSB1 |  | Baldy Mesa Hybrid |  |  | Forced | 150.00 | 150.00 |  | CISO
HOOVER_2_LDWP |  | Hoover Power Plant - LADWP Share |  |  | Forced | 537.00 | 281.00 |  | LADWP
KNTSTH_6_WALSR1 |  | Westlands Almond |  |  | Forced | 19.88 | 19.88 |  | CISO
ELK_6_RSS |  | Rancho Seco |  |  | Forced | 10.88 | 3.88 | EIM SMUD | BANC
ELSEGN_2_UN1011 |  | El Segundo Energy Center 5/6 |  |  | Forced | 274.31 | 0.01 | SCE Gen | CISO
ESCNDO_6_EB1BT1 |  | Escondido BESS 1 |  |  | Planned | 10.00 | 4.00 | SDGE Gen | CISO
ESCNDO_6_EB2BT2 |  | Escondido BESS 2 |  |  | Planned/Forced | 10.00 | 10.00 | SDGE Gen | CISO
ESCNDO_6_EB3BT3 |  | Escondido BESS 3 |  |  | Planned/Forced | 10.00 | 3.60 | SDGE Gen | CISO
ESCNDO_6_PL1X2 |  | MMC Escondido Aggregate |  |  | Planned | 48.71 | 48.71 | SDGE Gen | CISO
ESCNDO_6_UNITB1 |  | CalPeak Power Enterprise Unit 1 |  |  | Forced | 48.04 | 23.04 | SDGE Gen | CISO
ESCO_6_GLMQF |  | Goal Line Cogen |  |  | Planned | 49.90 | 49.90 | SDGE Gen | CISO
ESNHWR_2_WC1BT1 |  | Wildcat I BESS |  |  | Forced | 3.00 | 3.00 | SCE Gen | CISO
ETIWND_2_FONTNA |  | FONTANALYTLE CREEK POWERHOUSE P |  |  | Forced | 2.56 | 1.56 | SCE Gen | CISO
ETIWND_2_UNIT1 |  | ETIWND_2_UNIT1 |  |  | Forced | 33.60 | 31.60 | SCE Gen | CISO
FALBRK_6_FESBT1 |  | Fallbrook Energy Storage |  |  | Planned/Forced | 40.00 | 2.30 | SDGE Gen | CISO
FLOWD2_2_FPLWND |  | DIABLO WINDS |  |  | Forced | 18.00 | 4.70 | PGAE Gen | CISO
FMEADO_6_HELLHL |  | FMEADO_6_HELLHL |  |  | Planned/Forced | 0.60 | 0.60 | PGAE North | CISO
FMEADO_7_UNIT |  | FRENCH MEADOWS HYDRO |  |  | Planned/Forced | 16.00 | 16.00 | PGAE North | CISO
FORBST_7_UNIT 1 |  | FORBESTOWN HYDRO |  |  | Planned | 37.50 | 37.50 | PGAE North | CISO
FORKBU_6_UNIT |  | Forks of Butte Hydro |  |  | Forced | 14.30 | 12.95 | PGAE Gen | CISO
GARLND_2_GARBT1 |  | Garland B BESS |  |  | Forced | 88.00 | 23.00 | SCE Gen | CISO
GARLND_2_GASLR |  | Garland B |  |  | Forced | 180.00 | 21.60 | SCE Gen | CISO
GARNET_1_WIND |  | GARNET WIND ENERGY CENTER |  |  | Forced | 6.50 | 1.60 | SCE Gen | CISO
GARNET_1_WINDS |  | Garnet Winds Aggregation |  |  | Forced | 22.50 | 3.00 | SCE Gen | CISO
GARNET_1_WT3WND |  | Wagner Wind |  |  | Forced | 6.00 | 1.39 | SCE Gen | CISO
GARNET_2_COAWD2 |  | Coachella 2 |  |  | Forced | 10.80 | 4.65 | SCE Gen | CISO
GARNET_2_HYDRO |  | Whitewater Hydro |  |  | Forced | 1.00 | 1.00 | SCE Gen | CISO
GARNET_2_WIND1 |  | Phoenix |  |  | Forced | 11.20 | 7.00 | SCE Gen | CISO
GARNET_2_WIND2 |  | Karen Avenue Wind Farm |  |  | Forced | 11.70 | 5.40 | SCE Gen | CISO
GARNET_2_WIND5 |  | Eastwind |  |  | Forced | 3.00 | 3.00 | SCE Gen | CISO
GASKW1_2_GW1SR1 |  | Gaskell West 1 |  |  | Forced | 20.00 | 5.72 | SCE Gen | CISO
GASKW1_2_GW3SR1 |  | Gaskell West 3 |  |  | Forced | 20.00 | 1.50 | SCE Gen | CISO
GATWAY_2_PL1X3 |  | GATEWAY GENERATING STATION |  |  | Forced | 585.00 | 56.80 | PGAE South | CISO
GEYS11_7_UNIT11 |  | GEYSERS UNIT 11 (HEALDSBURG) |  |  | Planned/Forced | 86.80 | 6.80 | PGAE Gen | CISO
GEYS12_7_UNIT12 |  | GEYSERS UNIT 12 (HEALDSBURG) |  |  | Forced | 57.00 | 18.00 | PGAE Gen | CISO
GEYS13_7_UNIT13 |  | GEYSERS UNIT 13 (HEALDSBURG) |  |  | Forced | 73.00 | 25.00 | PGAE Gen | CISO
GEYS14_7_UNIT14 |  | GEYSERS UNIT 14 (HEALDSBURG) |  |  | Forced | 70.00 | 15.00 | PGAE Gen | CISO
GEYS16_7_UNIT16 |  | GEYSERS UNIT 16 (HEALDSBURG) |  |  | Forced | 63.00 | 17.00 | PGAE Gen | CISO
GEYS17_7_UNIT17 |  | GEYSERS UNIT 17 (HEALDSBURG) |  |  | Planned/Forced | 75.50 | 13.50 | PGAE Gen | CISO
GEYS18_7_UNIT18 |  | GEYSERS UNIT 18 (HEALDSBURG) |  |  | Forced | 72.00 | 32.00 | PGAE Gen | CISO
GEYS20_7_UNIT20 |  | GEYSERS UNIT 20 (HEALDSBURG) |  |  | Forced | 50.00 | 16.00 | PGAE Gen | CISO
GILROY_1_UNIT |  | GILROY COGEN AGGREGATE |  |  | Forced | 120.00 | 15.00 | PGAE South | CISO
GRIZLY_1_UNIT 1 |  | GRIZZLY HYDRO |  |  | Forced | 20.00 | 20.00 | PGAE North | CISO
GRSCRK_6_BGCKWW |  | BIG CREEK WATER WORKS - CEDAR FLAT |  |  | Forced | 5.00 | 5.00 | PGAE Gen | CISO
GYS5X6_7_UNITS |  | GEYSERS UNITS 5 &amp; 6 AGGREGATE |  |  | Planned/Forced | 98.43 | 98.43 | PGAE Gen | CISO
GYS7X8_7_UNITS |  | GEYSERS UNITS 7 &amp; 8 AGGREGATE |  |  | Forced | 95.80 | 19.80 | PGAE Gen | CISO
HALSEY_6_UNIT |  | HALSEY HYDRO |  |  | Planned | 13.50 | 13.50 | PGAE Gen | CISO
HARGS_1_UNIT_12 |  | Harbor Generating Station UNIT 12 |  |  | Forced | 44.00 | 3.00 | LADWP Gen | LADWP
HARGS_1_UNIT_14 |  | Harbor Generating Station UNIT 14 |  |  | Forced | 44.00 | 44.00 | LADWP Gen | LADWP
HATCR2_7_UNIT |  | Hat Creek #2 |  |  | Planned/Forced | 8.50 | 8.50 | PGAE North | CISO
HATLOS_6_LSCRK |  | Lost Creek 1 &amp; 2 Hydro Conversion |  |  | Forced | 1.70 | 0.85 | PGAE Gen | CISO
LAMONT_1_SOLAR5 |  | Redcrest Solar Farm |  |  | Forced | 16.66 | 3.36 | PGAE Gen | CISO
LAPLMA_2_UNIT 1 |  | La Paloma Generating Plant Unit #1 |  |  | Forced | 267.00 | 2.00 | PGAE Gen | CISO
LAPLMA_2_UNIT 2 |  | La Paloma Generating Plant Unit #2 |  |  | Forced | 266.00 | 2.00 | PGAE Gen | CISO
LAPLMA_2_UNIT 3 |  | La Paloma Generating Plant Unit #3 |  |  | Forced | 266.00 | 7.00 | PGAE Gen | CISO
LAPLMA_2_UNIT 4 |  | LA PALOMA GENERATING PLANT, UNIT #4 |  |  | Forced | 267.00 | 7.00 | PGAE Gen | CISO
LARKSP_6_UNIT 1 |  | LARKSPUR PEAKER UNIT 1 |  |  | Forced | 49.00 | 5.00 | SDGE Gen | CISO
LARKSP_6_UNIT 2 |  | LARKSPUR PEAKER UNIT 2 |  |  | Forced | 49.00 | 3.60 | SDGE Gen | CISO
LAROA2_2_UNITA1 |  | LR2 |  |  | Forced | 322.00 | 12.00 | SDGE Gen | CISO
LECEF_1_UNITS |  | LOS ESTEROS ENERGY FACILITY AGGREGATE |  |  | Forced | 309.84 | 309.84 | PGAE South | CISO
LHILLS_6_SOLAR1 |  | Lost Hills Solar |  |  | Forced | 20.00 | 0.80 | PGAE Gen | CISO
LITLRK_6_SOLAR1 |  | Lancaster Little Rock C |  |  | Forced | 5.00 | 2.00 | SCE Gen | CISO
LIVOAK_1_UNIT 1 |  | LIVE OAK LIMITED |  |  | Forced | 49.70 | 4.70 | PGAE South | CISO
LMEC_1_PL1X3 |  | Los Medanos Energy Center AGGREGATE |  |  | Forced | 580.00 | 6.00 | PGAE Gen | CISO
LNL_6_UNIT |  | Loon Lake Powerhouse |  |  | Planned/Forced | 78.00 | 78.00 | BANC Gen | BANC
LNL_6_UNIT |  | Loon Lake Powerhouse |  |  | Planned/Forced | 78.00 | 78.00 | EIM SMUD | BANC
LODI25_2_UNIT 1 |  | LODI GAS TURBINE |  |  | Forced | 25.00 | 2.00 | PGAE Gen | CISO
LODIEC_2_PL1X2 |  | Lodi Energy Center |  |  | Forced | 302.58 | 18.58 | PGAE Gen | CISO
LOWGAP_7_QFUNTS |  | Matthews Dam Hydro |  |  | Forced | 1.35 | 1.35 | PGAE North | CISO
MAGNLA_6_COLTON |  | Magnolia Power Project |  |  | Forced | 12.00 | 2.00 | SCE Gen | CISO
MAGUND_1_BKSSR2 |  | Bakersfield Solar 1 |  |  | Forced | 5.25 | 2.25 | PGAE Gen | CISO
MANTEC_1_ML1SR1 |  | Manteca Land 1 |  |  | Forced | 1.00 | 1.00 | PGAE Gen | CISO
MCFLND_5_MFSSR1 |  | McFarland Solar A PV |  |  | Forced | 200.00 | 200.00 | SDGE Gen | CISO
MDFKRL_2_PROJCT |  | MIDDLE FORK AND RALSTON PSP |  |  | Planned/Forced | 210.00 | 210.00 | PGAE North | CISO
MENBIO_6_RENEW1 |  | CalRENEW - 1(A) |  |  | Forced | 5.00 | 5.00 | PGAE Gen | CISO
METEC_2_PL1X3 |  | Metcalf Energy Center |  |  | Forced | 597.05 | 4.05 | PGAE Gen | CISO
MIDWY3_2_MDSSR1 |  | Midway South Solar Farm |  |  | Forced | 20.00 | 2.00 | SCE Gen | CISO
MIRLOM_6_PEAKER |  | Mira Loma Peaker |  |  | Forced | 47.18 | 0.67 | SCE Gen | CISO
MKTRCK_1_UNIT 1 |  | MCKITTRICK LIMITED |  |  | Forced | 47.72 | 8.02 | PGAE South | CISO
MNDALY_6_MCGRTH |  | McGrath Beach Peaker |  |  | Forced | 48.56 | 3.46 | SCE Gen | CISO
MOAPP_5_SOLAR |  | Moapa Solar Power Plant |  |  | Forced | 250.00 | 19.00 | LADWP Gen | LADWP
MOJAVE_1_SIPHON |  | MOJAVE SIPHON POWER PLANT |  |  | Forced | 14.36 | 14.36 | SCE Gen | CISO
MONTPH_7_UNITS |  | MONTICELLO HYDRO AGGREGATE |  |  | Forced | 12.50 | 8.70 | PGAE Gen | CISO
MOORPK_2_ACOBT1 |  | Acorn I BESS |  |  | Forced | 1.95 | 1.95 | SCE Gen | CISO
MRCHNT_2_PL1X3 |  | Desert Star Energy Center |  |  | Planned/Forced | 494.58 | 34.58 | SDGE Gen | CISO
MSTANG_2_MTGBT1 |  | Mustang 1 BESS |  |  | Forced | 75.00 | 65.00 | PGAE Gen | CISO
MSTANG_2_SOLAR |  | Mustang |  |  | Forced | 30.00 | 30.00 | PGAE Gen | CISO
MSTANG_2_SOLAR4 |  | Mustang 4 |  |  | Forced | 30.00 | 12.30 | PGAE Gen | CISO
MTNPOS_1_UNIT |  | MT.POSO COGENERATION CO. |  |  | Forced | 46.64 | 46.64 | PGAE South | CISO
MTWIND_1_MVPWD1 |  | Mountain View Power Project I Repower |  |  | Planned/Forced | 66.60 | 13.43 | SCE Gen | CISO
MTWIND_1_UNIT 3 |  | Mountain View Power Project III |  |  | Planned/Forced | 22.44 | 6.44 | SCE Gen | CISO
NAROW1_2_UNIT |  | NARROWS PH 1 UNIT |  |  | Forced | 12.00 | 1.60 | PGAE North | CISO
NAROW2_2_UNIT |  | Narrows Powerhouse Unit 2 |  |  | Planned/Forced | 55.00 | 55.00 | PGAE North | CISO
NCPA_7_GP1UN1 |  | NCPA GEO PLANT 1 UNIT 1 |  |  | Forced | 38.85 | 38.85 | PGAE Gen | CISO
NCPA_7_GP2UN3 |  | NCPA GEO PLANT 2 UNIT 3 |  |  | Forced | 42.42 | 42.42 | PGAE Gen | CISO
NCPA_7_GP2UN4 |  | NCPA GEO PLANT 2 UNIT 4 |  |  | Forced | 52.73 | 52.73 | PGAE Gen | CISO
NWCSTL_7_UNIT 1 |  | NEWCASTLE HYDRO |  |  | Forced | 12.00 | 12.00 | PGAE Gen | CISO
OAK C_7_UNIT 1 |  | OAKLAND STATION C GT UNIT 1 |  |  | Forced | 55.00 | 28.00 | PGAE South | CISO
OAK C_7_UNIT 3 |  | OAKLAND STATION C GT UNIT 3 |  |  | Forced | 55.00 | 55.00 | PGAE South | CISO
OASIS_6_SOLAR2 |  | Oasis Solar |  |  | Forced | 20.00 | 1.00 | SCE Gen | CISO
ROB_6_UNIT |  | Robbs Peak Powerhouse |  |  | Planned | 26.00 | 26.00 | BANC Gen | BANC
ROB_6_UNIT |  | Robbs Peak Powerhouse |  |  | Planned | 26.00 | 26.00 | EIM SMUD | BANC
ROSMDW_2_WIND1 |  | Pacific Wind - Phase 1 |  |  | Forced | 140.00 | 6.00 | SCE Gen | CISO
RTREE_2_WIND2 |  | Rising Tree 2 |  |  | Forced | 19.80 | 3.30 | SCE Gen | CISO
RUSCTY_2_UNITS |  | Russell City Energy Center |  |  | Forced | 615.18 | 19.18 | PGAE South | CISO
SALTSP_7_UNITS |  | SALT SPRINGS HYDRO AGGREGATE |  |  | Planned | 46.00 | 34.00 | PGAE North | CISO
SANBRN_2_EESSB2 |  | Edsan 2 Edwards Sanborn E1B |  |  | Forced | 166.00 | 166.00 | SCE Gen | CISO
SANLOB_1_LNDFIL |  | Cold Canyon |  |  | Forced | 1.50 | 1.50 | PGAE Gen | CISO
SANTFG_7_UNITS |  | GEYSERS CALISTOGA AGGREGATE |  |  | Forced | 72.00 | 14.00 | PGAE Gen | CISO
SANTGO_2_MABBT1 |  | Millikan Avenue BESS |  |  | Forced | 2.00 | 1.00 | SCE Gen | CISO
SANWD_1_QF |  | San Gorgonio Farms Wind Farm |  |  | Forced | 31.00 | 13.30 | SCE Gen | CISO
SBERDO_2_PSP3 |  | Mountainview Gen Sta. Unit 3 |  |  | Forced | 555.00 | 1.80 | SCE Gen | CISO
SBERDO_2_PSP4 |  | Mountainview Gen Sta. Unit 4 |  |  | Forced | 555.00 | 7.80 | SCE Gen | CISO
SBERDO_2_SNTANA |  | SANTA ANA PSP |  |  | Forced | 6.95 | 6.95 | SCE Gen | CISO
SBERDO_6_MILLCK |  | MILL CREEK PSP |  |  | Forced | 3.93 | 2.43 | SCE Gen | CISO
SCAGS_1_UNIT_1 |  | Scattergood Generating Station UNIT 1 |  |  | Planned | 105.00 | 105.00 | LADWP Gen | LADWP
SCAGS_1_UNIT_2 |  | Scattergood Generating Station UNIT 2 |  |  | Forced | 177.00 | 177.00 | LADWP Gen | LADWP
SCEW_2_PDRP10 |  | LCR AMS Hybrid Irvine 2-W-LSCE |  |  | Forced | 2.63 | 2.63 | SCE Gen | CISO
SENTNL_2_CTG1 |  | Sentinel Unit 1 |  |  | Forced | 107.68 | 15.68 | SCE Gen | CISO
SENTNL_2_CTG2 |  | Sentinel Unit 2 |  |  | Forced | 104.19 | 8.19 | SCE Gen | CISO
SENTNL_2_CTG3 |  | Sentinel Unit 3 |  |  | Forced | 105.69 | 8.19 | SCE Gen | CISO
SENTNL_2_CTG4 |  | Sentinel Unit 4 |  |  | Forced | 106.55 | 8.15 | SCE Gen | CISO
SENTNL_2_CTG5 |  | Sentinel Unit 5 |  |  | Forced | 107.52 | 8.22 | SCE Gen | CISO
SENTNL_2_CTG6 |  | Sentinel Unit 6 |  |  | Forced | 105.00 | 8.20 | SCE Gen | CISO
SENTNL_2_CTG7 |  | Sentinel Unit 7 |  |  | Forced | 106.73 | 106.73 | SCE Gen | CISO
SENTNL_2_CTG8 |  | Sentinel Unit 8 |  |  | Forced | 106.85 | 8.15 | SCE Gen | CISO
SIERRA_1_UNITS |  | HIGH SIERRA LIMITED |  |  | Forced | 52.43 | 2.33 | PGAE Gen | CISO
SLATE_2_SLASR3 |  | SLATE_3 |  |  | Forced | 67.50 | 34.00 | PGAE Gen | CISO
SLST13_2_SOLAR1 |  | Quinto Solar PV Project |  |  | Forced | 107.60 | 107.60 | PGAE Gen | CISO
SLUISP_2_UNITS |  | SAN LUIS (GIANELLI) PUMP-GEN (AGGREGATE) |  |  | Planned/Forced | 374.43 | 251.43 | PGAE Gen | CISO
SLYCRK_1_UNIT 1 |  | SLY CREEK HYDRO |  |  | Planned | 13.00 | 13.00 | PGAE North | CISO
SMUDGO_7_UNIT 1 |  | SONOMA POWER PLANT |  |  | Forced | 64.80 | 12.80 | PGAE Gen | CISO
SNCLRA_2_UNIT1 |  | New Indy Oxnard |  |  | Forced | 27.80 | 15.30 | SCE Gen | CISO
SPAULD_6_UNIT12 |  | SPAULDING HYDRO PH 1 &amp; 2 AGGREGATE |  |  | Forced | 11.40 | 5.00 | PGAE North | CISO
SPBURN_2_UNIT 1 |  | Burney Biomass |  |  | Planned/Forced | 22.00 | 22.00 | PGAE North | CISO
SPBURN_7_SNOWMT |  | Burney Creek Hydro |  |  | Forced | 3.00 | 3.00 | PGAE North | CISO
SPICER_1_UNITS |  | SPICER HYDRO UNITS 1-3 AGGREGATE |  |  | Forced | 6.00 | 6.00 | PGAE Gen | CISO
SPRGAP_1_UNIT 1 |  | SPRING GAP HYDRO |  |  | Forced | 7.00 | 7.00 | PGAE North | CISO
ADERA_1_SOLAR1 |  | Adera Solar |  |  | Forced | 20.00 | 3.00 | PGAE Gen | CISO
ADERA_1_SOLAR1 |  | Adera Solar |  |  | Forced | 20.00 | 3.00 | SCE Gen | CISO
ADLIN_1_UNITS |  | GEYSERS AIDLIN AGGREGATE |  |  | Forced | 22.00 | 13.00 | PGAE Gen | CISO
ADLSPP_5_SOLAR |  | Adelanto Solar Power Plant |  |  | Planned/Forced | 10.00 | 10.00 | LADWP Gen | LADWP
ALAMIT_2_PL1X3 |  | Alamitos Energy Center Unit 7 |  |  | Forced | 674.70 | 2.70 | SCE Gen | CISO
ALAMIT_7_ES1 |  | Alamitos Energy Storage |  |  | Forced | 100.45 | 15.45 | SCE Gen | CISO
ALAMIT_7_UNIT 4 |  | ALAMITOS GEN STA. UNIT 4 |  |  | Forced | 334.43 | 334.43 | SCE Gen | CISO
ALAMO_6_UNIT |  | ALAMO POWER PLANT |  |  | Forced | 17.00 | 17.00 | SCE Gen | CISO
ALMASL_2_AL6BT6 |  | Almasol 6 BES |  |  | Forced | 50.00 | 8.00 | SCE Gen | CISO
ALMEGT_1_UNIT 1 |  | ALAMEDA GT UNIT 1 |  |  | Forced | 25.00 | 25.00 | PGAE South | CISO
ALMEGT_1_UNIT 2 |  | ALAMEDA GT UNIT 2 |  |  | Forced | 25.00 | 25.00 | PGAE South | CISO
ALMOND2_1_UNIT3 |  | Almond Unit 3 |  |  | Planned | 53.00 | 53.00 | TID Gen | TIDC
ALPSLR_1_NTHSLR |  | Alpaugh North, LLC |  |  | Forced | 20.00 | 10.00 | PGAE Gen | CISO
ALPSLR_1_SPSSLR |  | Alpaugh 50 LLC |  |  | Forced | 50.00 | 17.00 | PGAE Gen | CISO
ALTA3A_2_CPCE4 |  | Alta Wind 4 |  |  | Forced | 102.00 | 3.00 | SCE Gen | CISO
ALTA3A_2_CPCE5 |  | Alta Wind 5 |  |  | Forced | 168.00 | 3.00 | SCE Gen | CISO
ALTA3A_2_CPCE8 |  | Alta Wind 8 |  |  | Forced | 150.00 | 15.00 | SCE Gen | CISO
ALTA4A_2_CPCW1 |  | Alta Wind 1 |  |  | Forced | 150.00 | 1.50 | SCE Gen | CISO
ALTA4B_2_CPCW2 |  | Alta Wind 2 |  |  | Forced | 150.00 | 9.00 | SCE Gen | CISO
ALTA4B_2_CPCW3 |  | Alta Wind 3 |  |  | Forced | 150.00 | 6.00 | SCE Gen | CISO
ALTA6B_2_WIND11 |  | Alta Wind 11 |  |  | Forced | 88.15 | 1.90 | SCE Gen | CISO
ALTA6E_2_WIND10 |  | Alta Wind 10 |  |  | Forced | 134.84 | 29.39 | SCE Gen | CISO
ALTWD_2_COAWD1 |  | Coachella 1 |  |  | Forced | 50.40 | 46.80 | SCE Gen | CISO
APXGS_5_CC |  | Apex Generating Station Combined Cycle |  |  | Forced | 578.00 | 16.00 | LADWP Gen | LADWP
ARCOGN_2_UNITS |  | WATSON COGENERATION |  |  | Planned/Forced | 305.00 | 125.00 | SCE Gen | CISO
BALCHS_7_UNIT 1 |  | BALCH 1 PH UNIT 1 |  |  | Forced | 31.00 | 8.40 | PGAE South | CISO
BALCHS_7_UNIT 2 |  | BALCH 2 PH UNIT 2 |  |  | Forced | 52.50 | 12.60 | PGAE South | CISO
BALCHS_7_UNIT 3 |  | BALCH 2 PH UNIT 3 |  |  | Forced | 54.60 | 14.70 | PGAE South | CISO
BARRE_6_PEAKER |  | Barre Peaker |  |  | Forced | 49.00 | 1.93 | SCE Gen | CISO
BASICE_2_UNITS |  | King City Cogen |  |  | Forced | 120.00 | 1.00 | PGAE Gen | CISO
BDGRCK_1_UNITS |  | BADGER CREEK LIMITED |  |  | Forced | 48.08 | 10.08 | PGAE South | CISO
BEARDS_7_UNIT 1 |  | Beardsley Hydro |  |  | Forced | 11.50 | 11.50 | PGAE Gen | CISO
BEARMT_1_UNIT |  | Bear Mountain Limited |  |  | Forced | 49.21 | 4.21 | PGAE Gen | CISO
BELDEN_7_UNIT 1 |  | BELDEN HYDRO |  |  | Forced | 119.00 | 119.00 | PGAE Gen | CISO
BGSKYN_2_AS2SR1 |  | Antelope Solar 2 |  |  | Forced | 105.00 | 3.00 | SCE Gen | CISO
BGSKYN_2_ASPSR2 |  | Antelope Solar 2 San Pablo |  |  | Forced | 100.00 | 5.00 | SCE Gen | CISO
BGSKYN_2_BS3SR3 |  | Big Sky Solar 3 |  |  | Forced | 20.00 | 3.00 | SCE Gen | CISO
BIGCRK_2_EXESWD |  | BIG CREEK HYDRO PROJECT PSP |  |  | Planned/Forced | 820.00 | 322.00 | SCE Gen | CISO
BIGSKY_2_BSKSR6 |  | Big Sky Solar 6 |  |  | Forced | 20.00 | 2.50 | SCE Gen | CISO
BIGSKY_2_BSKSR8 |  | Big Sky Solar 8 |  |  | Forced | 20.00 | 2.50 | SCE Gen | CISO
BIGSKY_2_SOLAR1 |  | Antelope Big Sky Ranch |  |  | Forced | 20.00 | 4.00 | SCE Gen | CISO
BIGSKY_2_SOLAR2 |  | Big Sky Solar 4 |  |  | Forced | 40.00 | 2.00 | SCE Gen | CISO
BIGSKY_2_SOLAR6 |  | Solverde 1 |  |  | Forced | 85.00 | 6.00 | SCE Gen | CISO
BISHOP_1_ALAMO |  | BISHOP CREEK PLANT 2 AND 6 |  |  | Forced | 13.40 | 8.40 | SCE Gen | CISO
BISHOP_1_UNITS |  | BISHOP CREEK PLANT 3 AND 4 |  |  | Forced | 15.80 | 6.80 | SCE Gen | CISO
BLAST_1_WIND |  | Mountain View IV Wind |  |  | Planned/Forced | 49.00 | 13.00 | SCE Gen | CISO
BLCKWL_6_SOLAR1 |  | Blackwell Solar |  |  | Forced | 12.00 | 1.60 | PGAE Gen | CISO
BLKCRK_2_GMCBT1 |  | Genesis McCoy Bess |  |  | Forced | 230.00 | 25.00 | SCE Gen | CISO
BLKDIA_2_BDEBT1 |  | Black Diamond Energy Storage |  |  | Forced | 200.00 | 200.00 | PGAE Gen | CISO
BLM W_2_COSBT1 |  | Coso Battery Storage |  |  | Forced | 60.00 | 4.60 | SCE Gen | CISO
BLYTHE_1_SOLAR2 |  | Blythe Green 1 |  |  | Forced | 20.00 | 3.50 | SCE Gen | CISO
BRDSLD_2_HIWIND |  | High Winds Energy Center |  |  | Forced | 162.00 | 90.00 | PGAE Gen | CISO
BRDSLD_2_SHILO1 |  | Shiloh I Wind Project |  |  | Forced | 150.00 | 150.00 | PGAE Gen | CISO
BRDSLD_2_SHILO2 |  | SHILOH WIND PROJECT 2 |  |  | Forced | 150.00 | 10.00 | PGAE Gen | CISO
BRDSLD_2_SHLO3A |  | Shiloh III Wind Project, LLC |  |  | Forced | 102.50 | 10.25 | PGAE Gen | CISO
BRODIE_2_WIND |  | Coram Brodie Wind Project |  |  | Forced | 102.00 | 12.00 | SCE Gen | CISO
BUCKCK_7_OAKFLT |  | Oak Flat |  |  | Forced | 1.30 | 1.30 | PGAE Gen | CISO
BUCKCK_7_PL1X2 |  | BUCKS CREEK AGGREGATE |  |  | Planned | 57.25 | 24.25 | PGAE Gen | CISO
CABALO_2_M2BSR1 |  | Mustang 2 Barbaro Solar |  |  | Planned | 50.00 | 50.00 | PGAE Gen | CISO
CABALO_2_M2WSR2 |  | Mustang 2 Whirlaway Solar |  |  | Planned/Forced | 100.00 | 100.00 | PGAE Gen | CISO
CALFTS_2_CFSSR1 |  | California Flats Solar South |  |  | Forced | 150.00 | 3.63 | PGAE Gen | CISO
CAMCHE_1_PL1X3 |  | CAMANCHE UNITS 1, 2 &amp; 3 AGGREGATE |  |  | Forced | 9.99 | 8.69 | PGAE Gen | CISO
CAMPFW_7_FARWST |  | CAMP FAR WEST HYDRO |  |  | Forced | 6.80 | 6.80 | PGAE Gen | CISO
CAM_2_UNIT1 |  | Camino Powerhouse Unit 1 |  |  | Forced | 80.00 | 80.00 | BANC Gen | BANC
CAM_2_UNIT1 |  | Camino Powerhouse Unit 1 |  |  | Forced | 80.00 | 80.00 | EIM SMUD | BANC
CAPWD_1_QF |  | Edom Hills Wind Farm |  |  | Forced | 19.55 | 12.05 | SCE Gen | CISO
CARBOU_7_PL2X3 |  | CARIBOU PH 1 UNIT 2 &amp; 3 AGGREGATE |  |  | Forced | 49.00 | 42.29 | PGAE North | CISO
CARBOU_7_PL4X5 |  | CARIBOU PH 2 UNIT 4 &amp; 5 AGGREGATE |  |  | Planned/Forced | 120.00 | 118.00 | PGAE North | CISO
CARBOU_7_UNIT 1 |  | CARIBOU PH 1 UNIT 1 |  |  | Forced | 24.00 | 24.00 | PGAE North | CISO
CARLS1_2_CARCT1 |  | Carlsbad 1 |  |  | Forced | 422.00 | 422.00 | SDGE Gen | CISO
CARLS2_1_CARCT1 |  | Carlsbad 2 |  |  | Forced | 105.50 | 105.50 | SDGE Gen | CISO
CASPP_2_UNIT_1 |  | Castaic Power Plant UNIT 1 |  |  | Planned | 238.00 | 238.00 | LADWP Gen | LADWP
CASPP_2_UNIT_5 |  | Castaic Power Plant UNIT 5 |  |  | Forced | 238.00 | 238.00 | LADWP Gen | LADWP
CASPP_2_UNIT_6 |  | Castaic Power Plant UNIT 6 |  |  | Forced | 238.00 | 18.00 | LADWP Gen | LADWP
CASPP_2_UNIT_7 |  | Castaic Power Plant UNIT 7 |  |  | Forced | 56.00 | 56.00 | LADWP Gen | LADWP
CEDUCR_2_SOLAR4 |  | Ducor Solar 4 |  |  | Forced | 20.00 | 20.00 | SCE Gen | CISO
CENTER_2_RHONDO |  | MWD Rio Hondo Hydroelectric Recovery Pla |  |  | Forced | 1.91 | 1.91 | SCE Gen | CISO
CENTER_6_PEAKER |  | Center Peaker |  |  | Planned | 47.30 | 47.30 | SCE Gen | CISO
CHALK_1_UNIT |  | CHALK CLIFF LIMITED |  |  | Forced | 48.67 | 4.07 | PGAE Gen | CISO
CHARMN_2_PGONG1 |  | PROCTER AND GAMBLE OXNARD I |  |  | Planned | 19.87 | 19.87 | SCE Gen | CISO
CHEVCO_6_UNIT 2 |  | AERA ENERGY LLC. (COALINGA) |  |  | Planned | 8.50 | 8.50 | PGAE Gen | CISO
CHEVCO_6_UNIT 2 |  | AERA ENERGY LLC. (COALINGA) |  |  | Planned | 8.50 | 8.50 | PGAE South | CISO
CHEVMN_2_UNITS |  | CHEVRON U.S.A. UNITS 1 &amp; 2 AGGREGATE |  |  | Planned/Forced | 124.87 | 124.87 | SCE Gen | CISO
CHWCHL_1_UNIT |  | CHOW 2 PEAKER PLANT |  |  | Forced | 48.60 | 3.60 | PGAE Gen | CISO
CIG_6_PL |  | Carson ICE CoGen |  |  | Forced | 61.00 | 6.00 | BANC Gen | BANC
CIG_6_PL |  | Carson ICE CoGen |  |  | Forced | 61.00 | 6.00 | EIM SMUD | BANC
COACHSS_6_COACHLA3 |  | COACHSS_6_COACHLA3 |  |  | Planned | 21.70 | 21.70 | IID Gen | IID
COACHSS_6_COACHLA4 |  | COACHSS_6_COACHLA4 |  |  | Planned | 21.70 | 21.70 | IID Gen | IID
COCOPP_2_CTG1 |  | Marsh Landing 1 |  |  | Forced | 204.20 | 7.33 | PGAE South | CISO
COCOPP_2_CTG2 |  | Marsh Landing 2 |  |  | Forced | 202.70 | 6.66 | PGAE South | CISO
COCOPP_2_CTG3 |  | Marsh Landing 3 |  |  | Forced | 208.96 | 13.35 | PGAE South | CISO
COCOPP_2_CTG4 |  | Marsh Landing 4 |  |  | Forced | 204.29 | 6.84 | PGAE South | CISO
COLGAT_7_UNIT 1 |  | Colgate Powerhouse Unit 1 |  |  | Forced | 176.72 | 21.72 | PGAE North | CISO
COLGAT_7_UNIT 2 |  | Colgate Powerhouse Unit 2 |  |  | Forced | 175.67 | 20.67 | PGAE North | CISO
COLGNS_2_CNSSR1 |  | ColGreen North Shore |  |  | Forced | 74.80 | 6.60 | SCE Gen | CISO
COLUSA_2_PL1X3 |  | Colusa Generating Station |  |  | Forced | 641.00 | 332.10 | PGAE North | CISO
COLVIL_7_PL1X2 |  | COLLIERVILLE HYDRO UNIT 1 &amp; 2 AGGREGATE |  |  | Planned | 246.86 | 120.36 | PGAE Gen | CISO
CONTRL_1_CASAD2 |  | Mammoth G2 |  |  | Forced | 10.50 | 0.50 | SCE Gen | CISO
CONTRL_1_LUNDY |  | LUNDY |  |  | Planned/Forced | 3.00 | 1.50 | SCE Gen | CISO
CONTRL_1_POOLE |  | POOLE HYDRO PLANT 1 |  |  | Forced | 10.90 | 9.95 | SCE Gen | CISO
CONTRL_1_RUSHCK |  | RUSH CREEK |  |  | Forced | 11.94 | 11.84 | SCE Gen | CISO
CORRAL_6_SJOAQN |  | Ameresco San Joaquin |  |  | Planned/Forced | 4.30 | 4.30 | PGAE Gen | CISO
COVERD_2_HCKHY1 |  | HATCHET CREEK |  |  | Forced | 6.89 | 6.89 | PGAE Gen | CISO
COVERD_2_MCKHY1 |  | Montgomery Creek Hydro |  |  | Forced | 2.80 | 2.80 | PGAE Gen | CISO
COVERD_2_RCKHY1 |  | ROARING CREEK |  |  | Forced | 2.00 | 2.00 | PGAE Gen | CISO
COWCRK_2_UNIT |  | Cow Creek Hydro |  |  | Forced | 2.00 | 2.00 | PGAE Gen | CISO
WOODLAND_6_WGSUNIT1 |  | Woodland Generation Station Unit 1 |  |  | Planned | 45.00 | 45.00 |  | BANC
WOODLAND_7_WGSUNIT2 |  | Woodland Generation Station Unit 2 |  |  | Forced | 83.00 | 8.00 |  | BANC
WSTWND_2_M89WD2 |  | Mojave 89 Wind |  |  | Forced | 82.65 | 6.10 |  | CISO
Count of Resource ID | Outage Type Counts
BA | Forced |  | Planned | Planned/Forced
BANC | 25 |  | 12 | 11
TIDC | 5 |  | 1 | 0
IID | 0 |  | 3 | 0
LADWP | 21 |  | 3 | 1
CISO | 338 |  | 39 | 37
Grand Total | 389 |  | 58 | 49
BA | Sum of Capacity (MW) |  | Sum of Curtailed (MW)
BANC | 6389.73 |  | 2461.83
CISO | 40546.6 |  | 15254.61
IID | 65.4 |  | 65.4
LADWP | 5119 |  | 2785.5
TIDC | 137.8 |  | 112.8
Grand Total | 52258.53 |  | 20680.14
The content of these pages is subject to change without notice. Decisions based on information contained within the California ISO web site are the visitor's sole responsibility.