## Table of Contents
Renewable Portfolios for CAISO SB 350 Study: Inputs and Results
Prepared by:
101 Montgomery Street, Suite 1600
San Francisco, CA 94104
(415) 391-5100
2016-06-03
Table of Contents
Category | Tab Name | Description
Scenario Definitions | Scenario Definitions | Definitions of modeled scenarios
Results | Statewide Results | Portfolio and Cost results for CA State (sum of CAISO modeled by RESOLVE and handpicked Munis)
| CAISO Results | Portfolio and Cost results for CAISO (modeled by RESOLVE)
| Muni results | Portfolio and Cost results for non-CAISO entities (handpicked resources)
| Statewide CREZ Details | Detailed results by CREZ for the base case scenarios, statewide
| CAISO CREZ Detail | Detailed results by CREZ for the base case scenarios, CAISO (modeled by RESOLVE)
| Muni CREZ Detail | Detailed results by CREZ for the base case scenarios, non-CAISO entities (handpicked resources)
| Sensitivities Results | Summary of sensitivity results, CAISO only and Statewide
Inputs | Renewable Cost and Performance | Renewable resource cost & performance assumptions
| Storage Inputs | Storage cost & performance assumptions
| Transmission Cost Inputs | Transmission cost and capacity assumptions
| Load and DG Inputs | Retail sales and rooftop PV assumtpions
| Existing 33% Portfolio | Existing 33% CAISO renewable portfolio assumptions

## Scenario Definitions
Scenario Definitions
Scenario 1a: Business-as-usual procurement, CAISO operations, 2000 MW export limit
Scenario 1b: Business-as-usual procurement, CAISO operations, 8000 MW export limit
Scenario 2: Business-as-usual procurement, WECC-wide operations
Scenario 3: WECC-wide procurement, WECC-wide operations, up to 1,500 MW of AZ solar available to CA
Scenarios | Scenario 1a | Scenario 1b | Scenario 2 | Scenario 3
CAISO simultaneous export limit | 2000 | 8000 | 8000 | 8000
Procurement | BAU | BAU | BAU | WECC-wide
Operations | CAISO | CAISO | WECC-wide | WECC-wide

## Statewide Results
50% Renewable Portfolios, Statewide
Sum of Muni and CAISO Results
New Resources (MW) | Scenario 1a | Scenario 1b | Scenario 2 | Scenario 3 | New Resources (GWh) | Scenario 1a | Scenario 1b | Scenario 2 | Scenario 3
California Solar | 7600.7476 | 8278.7476 | 7803.7476 | 3439.6344 | California Solar | 21481.6274 | 23482.6274 | 22146.6274 | 9826.6995
California Wind | 3000 | 3000 | 1900 | 1900 | California Wind | 8480 | 8480 | 5596 | 5596
California Geothermal | 500 | 500 | 500 | 500 | California Geothermal | 3942 | 3942 | 3942 | 3942
Northwest Wind, Existing Transmission | 1447.0826 | 447.0826 | 562.0826 | 317.6735 | Northwest Wind, Existing Transmission | 4056.2618 | 1253.2618 | 1574.2618 | 890.5024
Northwest Wind RECs | 1000 | 0 | 1000 | 0 | Northwest Wind RECs | 2803 | 0 | 2803 | 0
Utah Wind, Existing Transmission | 603.9993 | 603.9993 | 603.9993 | 419.9819 | Utah Wind, Existing Transmission | 1693.1308 | 1693.1308 | 1693.1308 | 1177.2932
Wyoming Wind, Existing Transmission | 500 | 500 | 500 | 500 | Wyoming Wind, Existing Transmission | 1708 | 1708 | 1708 | 1708
Wyoming Wind, New Transmission | 0 | 0 | 0 | 1994.6677 | Wyoming Wind, New Transmission | 0 | 0 | 0 | 8037.3131
Southwest Solar, Existing Transmission | 0 | 272 | 500 | 500 | Southwest Solar, Existing Transmission | 0 | 809 | 1489 | 1489
Southwest Solar RECs | 1000 | 1000 | 1000 | 1000 | Southwest Solar RECs | 2978 | 2978 | 2978 | 2978
New Mexico Wind, Existing Transmission | 1000 | 1000 | 1000 | 1000 | New Mexico Wind, Existing Transmission | 3416 | 3416 | 3416 | 3416
New Mexico Wind, New Transmission | 0 | 0 | 0 | 1961.885 | New Mexico Wind, New Transmission | 0 | 0 | 0 | 7905.2118
Total CA Resources | 11100.7476 | 11778.7476 | 10203.7476 | 5839.6344 | Total CA Resources | 33903.6274 | 35904.6274 | 31684.6274 | 19364.6995
Total Out-of-State Resources | 5551.0818 | 3823.0818 | 5166.0818 | 7694.2081 | Total Out-of-State Resources | 16654.3926 | 11857.3926 | 15661.3926 | 27601.3205
Total Renewable Resources | 16651.8294 | 15601.8294 | 15369.8294 | 13533.8426 | Total Renewable Resources | 50558.02 | 47762.02 | 47346.02 | 46966.02
Batteries | 472 | 0 | 0 | 0 | Batteries | 0 | 0 | 0 | 0
Pumped Hydro | 500 | 500 | 500 | 500 | Pumped Hydro | 0 | 0 | 0 | 0
Costs (Including OOS Tranmsision Costs; $MM) | Scenario 1a | Scenario 1b | Scenario 2 | Scenario 3 | Out of State Resource Accounting | Scenario 1a | Scenario 1b | Scenario 2 | Scenario 3
Annualized Investment Costs | 3297.1921 | 2939.6698 | 2851.6957 | 2346.8658 | Out of State Share in incremental 33-55% Portfolio | 32.94% | 24.83% | 33.08% | 58.77%
Transmission Costs (new construction and wheeling; $MM) | 234.14 | 190.5871 | 0 | 272.5376 | Out of State Share in total Portfolio (estimate) | 24.11% | 20.98% | 23.95% | 33.15%
Energy Credit for REC Resources ($MM)* | -239.6965 | -127.126 | -239.6965 | -127.126 | The 33% Muni portfolio is not explicitly modeled. E3 estimates the 33% portfolio consists of 13,442 GWh in-state renewables and 5,073 GWh out-of-state renewables
Net Total Costs | 3291.5288 | 3003.0242 | 2611.7461 | 2492.3572
Procurement Savings Relative to Scenario 1a |  |  | 679.7826 | 799.1716
Procurement Savings Relative to Scenario 1b |  |  | 391.278 | 510.667
*Pricing for REC resources is based on the PPA price of a new resource net of its energy value in local markets. Since this energy credit is not captured explicitly in PSO modeling, it is included here as an explicit adjustment. The energy value of all non-REC renewable resources is captured directly through PSO modeling.

## CAISO Results
50% Renewable Portfolios from RESOLVE Model, CAISO ONLY
Results from modeling CAISO area with RESOLVE
New Resources (MW) | Scenario 1a | Scenario 1b | Scenario 2 | Scenario 3 | New Resources (GWh) | Scenario 1a | Scenario 1b | Scenario 2 | Scenario 3
California Solar | 5226 | 5904 | 5429 | 2136 | California Solar | 14890 | 16891 | 15555 | 6211
California Wind | 3000 | 3000 | 1900 | 1900 | California Wind | 8480 | 8480 | 5596 | 5596
California Geothermal | 500 | 500 | 500 | 500 | California Geothermal | 3942 | 3942 | 3942 | 3942
Northwest Wind, Existing Transmission | 1000 | 0 | 115 | 0 | Northwest Wind, Existing Transmission | 2803 | 0 | 321 | 0
Northwest Wind RECs | 1000 | 0 | 1000 | 0 | Northwest Wind RECs | 2803 | 0 | 2803 | 0
Utah Wind, Existing Transmission | 0 | 0 | 0 | 0 | Utah Wind, Existing Transmission | 0 | 0 | 0 | 0
Wyoming Wind, Existing Transmission | 500 | 500 | 500 | 500 | Wyoming Wind, Existing Transmission | 1708 | 1708 | 1708 | 1708
Wyoming Wind, New Transmission | 0 | 0 | 0 | 1500 | Wyoming Wind, New Transmission | 0 | 0 | 0 | 6044
Southwest Solar, Existing Transmission | 0 | 272 | 500 | 500 | Southwest Solar, Existing Transmission | 0 | 809 | 1489 | 1489
Southwest Solar RECs | 1000 | 1000 | 1000 | 1000 | Southwest Solar RECs | 2978 | 2978 | 2978 | 2978
New Mexico Wind, Existing Transmission | 1000 | 1000 | 1000 | 1000 | New Mexico Wind, Existing Transmission | 3416 | 3416 | 3416 | 3416
New Mexico Wind, New Transmission | 0 | 0 | 0 | 1500 | New Mexico Wind, New Transmission | 0 | 0 | 0 | 6044
Total CA Resources | 8726 | 9404 | 7829 | 4536 | Total CA Resources | 27312 | 29313 | 25093 | 15749
Total Out-of-State Resources | 4500 | 2772 | 4115 | 6000 | Total Out-of-State Resources | 13708 | 8911 | 12715 | 21679
Total Renewable Resources | 13226 | 12176 | 11944 | 10536 | Total Renewable Resources | 41020 | 38224 | 37808 | 37428
Batteries | 472 | 0 | 0 | 0 | Batteries | 0 | 0 | 0 | 0
Pumped Hydro | 500 | 500 | 500 | 500 | Pumped Hydro | 0 | 0 | 0 | 0
Costs and REC Revenue ($MM) | Scenario 1a | Scenario 1b | Scenario 2 | Scenario 3 | Out of State Resource Accounting | Scenario 1a | Scenario 1b | Scenario 2 | Scenario 3
Annualized Investment Costs | 2619.1921 | 2261.6698 | 2173.6957 | 1760.8658 | Out of State Share in incremental 33-55% Portfolio | 33.42% | 23.31% | 33.63% | 57.92%
Transmission Costs (new construction and wheeling; $MM) | 198.14 | 154.5871 | 0 | 206.5376 | Out of State Share in total Portfolio | 22.93% | 18.92% | 22.69% | 31.5%
Energy Credit for REC Resources ($MM)* | -239.6965 | -127.126 | -239.6965 | -127.126
Net Total Costs | 2577.6356 | 2289.131 | 1933.9992 | 1840.2775
Procurement Savings Relative to Scenario 1a |  |  | 643.6363 | 737.3581
Procurement Savings Relative to Scenario 1b |  |  | 355.1317 | 448.8535
*Pricing for REC resources is based on the PPA price of a new resource net of its energy value in local markets. Since this energy credit is not captured explicitly in PSO modeling, it is included here as an explicit adjustment. The energy value of all non-REC renewable resources is captured directly through PSO modeling.
Renewable Energy Curtailment | Scenario 1a | Scenario 1b | Scenario 2 | Scenario 3
Total Curtailment (GWh) | 4817.6742 | 2021.8674 | 1605.5388 | 1226.1035
Curtailment as % of available RPS energy | 4.532% | 1.953% | 1.557% | 1.194%

## Muni Results
50% Renewable Portfolios, handpicked for non-CAISO entities
Results from handpicking non-CAISO resources
New Resources (MW) | Scenario 1a | Scenario 1b | Scenario 2 | Scenario 3 | New Resources (GWh) | Scenario 1a | Scenario 1b | Scenario 2 | Scenario 3
California Solar | 2374.7476 | 2374.7476 | 2374.7476 | 1303.6344 | California Solar | 6591.6274 | 6591.6274 | 6591.6274 | 3615.6995
California Wind | 0 | 0 | 0 | 0 | California Wind | 0 | 0 | 0 | 0
California Geothermal | 0 | 0 | 0 | 0 | California Geothermal | 0 | 0 | 0 | 0
Northwest Wind, Existing Transmission | 447.0826 | 447.0826 | 447.0826 | 317.6735 | Northwest Wind, Existing Transmission | 1253.2618 | 1253.2618 | 1253.2618 | 890.5024
Northwest Wind RECs | 0 | 0 | 0 | 0 | Northwest Wind RECs | 0 | 0 | 0 | 0
Utah Wind, Existing Transmission | 603.9993 | 603.9993 | 603.9993 | 419.9819 | Utah Wind, Existing Transmission | 1693.1308 | 1693.1308 | 1693.1308 | 1177.2932
Wyoming Wind, Existing Transmission | 0 | 0 | 0 | 0 | Wyoming Wind, Existing Transmission | 0 | 0 | 0 | 0
Wyoming Wind, New Transmission | 0 | 0 | 0 | 494.6677 | Wyoming Wind, New Transmission | 0 | 0 | 0 | 1993.3131
Southwest Solar, Existing Transmission | 0 | 0 | 0 | 0 | Southwest Solar, Existing Transmission | 0 | 0 | 0 | 0
Southwest Solar RECs | 0 | 0 | 0 | 0 | Southwest Solar RECs | 0 | 0 | 0 | 0
New Mexico Wind, Existing Transmission | 0 | 0 | 0 | 0 | New Mexico Wind, Existing Transmission | 0 | 0 | 0 | 0
New Mexico Wind, New Transmission | 0 | 0 | 0 | 461.885 | New Mexico Wind, New Transmission | 0 | 0 | 0 | 1861.2118
Total CA Resources | 2374.7476 | 2374.7476 | 2374.7476 | 1303.6344 | Total CA Resources | 6591.6274 | 6591.6274 | 6591.6274 | 3615.6995
Total Out-of-State Resources | 1051.0818 | 1051.0818 | 1051.0818 | 1694.2081 | Total Out-of-State Resources | 2946.3926 | 2946.3926 | 2946.3926 | 5922.3205
Total Renewable Resources | 3425.8294 | 3425.8294 | 3425.8294 | 2997.8426 | Total Renewable Resources | 9538.02 | 9538.02 | 9538.02 | 9538.02
Batteries | 0 | 0 | 0 | 0 | Batteries | 0 | 0 | 0 | 0
Pumped Hydro | 0 | 0 | 0 | 0 | Pumped Hydro | 0 | 0 | 0 | 0
Costs and REC Revenue ($MM) | Scenario 1a | Scenario 1b | Scenario 2 | Scenario 3 | Out of State Resource Accounting | Scenario 1a | Scenario 1b | Scenario 2 | Scenario 3
Annualized Investment Costs | 678 | 678 | 678 | 586 | Out of State Share in incremental 33-55% Portfolio | 30.89% | 30.89% | 30.89% | 62.09%
Transmission Costs (new construction and wheeling; $MM) | 36 | 36 | 0 | 66 | Out of State Share in total Portfolio (estimate) | 28.59% | 28.59% | 28.59% | 39.19%
Energy Credit for REC Resources ($MM)* | 0 | 0 | 0 | 0 | The 33% Muni portfolio is not explicitly modeled. E3 estimates the 33% portfolio consists of 13,442 GWh in-state renewables and 5,073 GWh out-of-state renewables
Net Total Costs | 713.8932 | 713.8932 | 677.7469 | 652.0797
Procurement Savings Relative to Scenario 1a |  |  | 36.1463 | 61.8135
Procurement Savings Relative to Scenario 1b |  |  | 36.1463 | 61.8135
*Pricing for REC resources is based on the PPA price of a new resource net of its energy value in local markets. Since this energy credit is not captured explicitly in PSO modeling, it is included here as an explicit adjustment. The energy value of all non-REC renewable resources is captured directly through PSO modeling.
Renewable Energy Curtailment | Scenario 1a | Scenario 1b | Scenario 2 | Scenario 3
Total Curtailment (GWh) | N/A | N/A | N/A | N/A
Curtailment as % of available RPS energy | N/A | N/A | N/A | N/A

## Statewide CREZ Detail
Final 50% Renewable Portfolios, Statewide by CREZ
Sum of Handpicked non-CAISO portfolio and optimal RESOLVE portfolio
Incremental Renewable Build (MW) | [5 empty] | Incremental Renewable Generation (GWh)
Resource (CREZ) | Technology | Scenario 1a | Scenario 1b | Scenario 2 | Scenario 3 | Resource (CREZ) | Technology | Scenario 1a | Scenario 1b | Scenario 2 | Scenario 3
Greater_Imperial_Geothermal | Geothermal | 500 | 500 | 500 | 500 | Greater_Imperial_Geothermal | Geothermal | 3942 | 3942 | 3942 | 3942
Greater_Carrizo_Solar | Solar | 570 | 570 | 570 | 0 | Greater_Carrizo_Solar | Solar | 1624 | 1624 | 1624 | 0
Kramer_Inyokern_Solar | Solar | 375 | 375 | 375 | 375 | Kramer_Inyokern_Solar | Solar | 1115 | 1115 | 1115 | 1115
Mountain_Pass_El_Dorado_Solar | Solar | 0 | 0 | 0 | 0 | Mountain_Pass_El_Dorado_Solar | Solar | 0 | 0 | 0 | 0
Riverside_East_Palm_Springs_Solar | Solar | 331 | 2459 | 1984 | 0 | Riverside_East_Palm_Springs_Solar | Solar | 930 | 6918 | 5582 | 0
Tehachapi_Solar | Solar | 2500 | 2500 | 2500 | 1761 | Tehachapi_Solar | Solar | 7234 | 7234 | 7234 | 5096
Westlands_Solar | Solar | 2323.1374 | 873.1374 | 873.1374 | 485.8115 | Westlands_Solar | Solar | 6387.7182 | 2400.7182 | 2400.7182 | 1335.7536
Central_Valley_North_Los_Banos_Wind | Wind | 150 | 150 | 150 | 150 | Central_Valley_North_Los_Banos_Wind | Wind | 394 | 394 | 394 | 394
Greater_Carrizo_Wind | Wind | 500 | 500 | 500 | 500 | Greater_Carrizo_Wind | Wind | 1358 | 1358 | 1358 | 1358
Greater_Imperial_Wind | Wind | 400 | 400 | 400 | 400 | Greater_Imperial_Wind | Wind | 1244 | 1244 | 1244 | 1244
Riverside_East_Palm_Springs_Wind | Wind | 500 | 500 | 0 | 0 | Riverside_East_Palm_Springs_Wind | Wind | 1448 | 1448 | 0 | 0
Solano_Wind | Wind | 600 | 600 | 0 | 0 | Solano_Wind | Wind | 1436 | 1436 | 0 | 0
Tehachapi_Wind | Wind | 850 | 850 | 850 | 850 | Tehachapi_Wind | Wind | 2601 | 2601 | 2601 | 2601
Owens_Valley_Solar | Solar | 578.2931 | 578.2931 | 578.2931 | 305.4414 | Owens_Valley_Solar | Solar | 1671.7296 | 1671.7296 | 1671.7296 | 882.9699
Greater_Imperial_Solar | Solar | 923.3171 | 923.3171 | 923.3171 | 512.3816 | Greater_Imperial_Solar | Solar | 2519.1796 | 2519.1796 | 2519.1796 | 1396.976
Sonoma_Geothermal | Geothermal | 0 | 0 | 0 | 0 | Sonoma_Geothermal | Geothermal | 0 | 0 | 0 | 0
Out-of-state | [5 empty] | Out-of-state
OR_Wind_ExistingTx | Wind | 1447.0112 | 447.0826 | 561.5945 | 317.6735 | OR_Wind_ExistingTx | Wind | 4056.2618 | 1253.2618 | 1574.2618 | 890.5024
OR_Wind_REC | Wind | 999.9287 | 0 | 999.9287 | 0 | OR_Wind_REC | Wind | 2803 | 0 | 2803 | 0
WY_Wind_ExistingTx | Wind | 499.9415 | 499.9415 | 499.9415 | 499.9415 | WY_Wind_ExistingTx | Wind | 1708 | 1708 | 1708 | 1708
WY_Wind_NewTx_1 | Wind | 0 | 0 | 0 | 1994.5685 | WY_Wind_NewTx_1 | Wind | 0 | 0 | 0 | 8037.3131
AZ_Solar_ExistingTx | Solar | 0 | 272.9074 | 502.298 | 502.298 | AZ_Solar_ExistingTx | Solar | 0 | 809 | 1489 | 1489
AZ_Solar_REC | Solar | 1000 | 1000 | 1000 | 1000 | AZ_Solar_REC | Solar | 2978 | 2978 | 2978 | 2978
NM_Wind_ExistingTx | Wind | 999.8829 | 999.8829 | 999.8829 | 999.8829 | NM_Wind_ExistingTx | Wind | 3416 | 3416 | 3416 | 3416
NM_Wind_NewTx_1 | Wind | 0 | 0 | 0 | 1961.7857 | NM_Wind_NewTx_1 | wind | 0 | 0 | 0 | 7905.2118
UT_Wind_ExistingTx | Wind | 603.9993 | 603.9993 | 603.9993 | 419.9819 | UT_Wind_ExistingTx | Wind | 1693.1308 | 1693.1308 | 1693.1308 | 1177.2932
Grand Total |  | 16651.5111 | 15602.5612 | 15371.3925 | 13535.7664 | Grand Total |  | 50559.02 | 47763.02 | 47347.02 | 46967.02
Storage | [5 empty] | Storage
Li-ion Battery | Storage | 472 | 0 | 0 | 0 | Li-ion Battery | Storage | 0 | 0 | 0 | 0
Pumped Storage | Storage | 500 | 500 | 500 | 500 | Pumped Storage | Storage | 0 | 0 | 0 | 0
Annualized Investment Costs in 2030 by CREZ (excl. transmission; $MM) | [5 empty] | Annualized Transmission Cost in 2030 by CREZ (new construction and wheeling; $MM) | [5 empty] | Annualized Energy Credit for REC Resources in 2030 by CREZ (REC resources only; $MM)
Resource (CREZ) | Technology | Scenario 1a | Scenario 1b | Scenario 2 | Scenario 3 | Resource (CREZ) | Technology | Scenario 1a | Scenario 1b | Scenario 2 | Scenario 3 | Resource (CREZ) | Technology | Scenario 1a | Scenario 1b | Scenario 2 | Scenario 3
Greater_Imperial_Geothermal | Geothermal | 378.7324 | 378.7324 | 378.7324 | 378.7324 | Greater_Imperial_Geothermal | Geothermal | 0 | 0 | 0 | 0 | Greater_Imperial_Geothermal | Geothermal | 0 | 0 | 0 | 0
Greater_Carrizo_Solar | Solar | 89.8638 | 89.8638 | 89.8638 | 0 | Greater_Carrizo_Solar | Solar | 0 | 0 | 0 | 0 | Greater_Carrizo_Solar | Solar | 0 | 0 | 0 | 0
Kramer_Inyokern_Solar | Solar | 59.1209 | 59.1209 | 59.1209 | 59.1209 | Kramer_Inyokern_Solar | Solar | 0 | 0 | 0 | 0 | Kramer_Inyokern_Solar | Solar | 0 | 0 | 0 | 0
Mountain_Pass_El_Dorado_Solar | Solar | 0 | 0 | 0 | 0 | Mountain_Pass_El_Dorado_Solar | Solar | 0 | 0 | 0 | 0 | Mountain_Pass_El_Dorado_Solar | Solar | 0 | 0 | 0 | 0
Riverside_East_Palm_Springs_Solar | Solar | 52.184 | 387.6754 | 312.789 | 0 | Riverside_East_Palm_Springs_Solar | Solar | 0 | 0 | 0 | 0 | Riverside_East_Palm_Springs_Solar | Solar | 0 | 0 | 0 | 0
Tehachapi_Solar | Solar | 394.1393 | 394.1393 | 394.1393 | 277.6317 | Tehachapi_Solar | Solar | 0 | 0 | 0 | 0 | Tehachapi_Solar | Solar | 0 | 0 | 0 | 0
Westlands_Solar | Solar | 451.4618 | 166.9972 | 166.9972 | 92.9168 | Westlands_Solar | Solar | 0 | 0 | 0 | 0 | Westlands_Solar | Solar | 0 | 0 | 0 | 0
Central_Valley_North_Los_Banos_Wind | Wind | 20.6649 | 20.6649 | 20.6649 | 20.6649 | Central_Valley_North_Los_Banos_Wind | Wind | 0 | 0 | 0 | 0 | Central_Valley_North_Los_Banos_Wind | Wind | 0 | 0 | 0 | 0
Greater_Carrizo_Wind | Wind | 68.2947 | 68.2947 | 68.2947 | 68.2947 | Greater_Carrizo_Wind | Wind | 0 | 0 | 0 | 0 | Greater_Carrizo_Wind | Wind | 0 | 0 | 0 | 0
Greater_Imperial_Wind | Wind | 54.5291 | 54.5291 | 54.5291 | 54.5291 | Greater_Imperial_Wind | Wind | 0 | 0 | 0 | 0 | Greater_Imperial_Wind | Wind | 0 | 0 | 0 | 0
Riverside_East_Palm_Springs_Wind | Wind | 84.0745 | 84.0745 | 0 | 0 | Riverside_East_Palm_Springs_Wind | Wind | 0 | 0 | 0 | 0 | Riverside_East_Palm_Springs_Wind | Wind | 0 | 0 | 0 | 0
Solano_Wind | Wind | 84.8109 | 84.8109 | 0 | 0 | Solano_Wind | Wind | 0 | 0 | 0 | 0 | Solano_Wind | Wind | 0 | 0 | 0 | 0
Tehachapi_Wind | Wind | 125.6734 | 125.6734 | 125.6734 | 125.6734 | Tehachapi_Wind | Wind | 0 | 0 | 0 | 0 | Tehachapi_Wind | Wind | 0 | 0 | 0 | 0
Owens_Valley_Solar | Solar | 110.605 | 110.605 | 110.605 | 58.4191 | Owens_Valley_Solar | Solar | 0 | 0 | 0 | 0 | Owens_Valley_Solar | Solar | 0 | 0 | 0 | 0
Greater_Imperial_Solar | Solar | 179.2717 | 179.2717 | 179.2717 | 99.4126 | Greater_Imperial_Solar | Solar | 0 | 0 | 0 | 0 | Greater_Imperial_Solar | Solar | 0 | 0 | 0 | 0
Sonoma_Geothermal | Geothermal | 0 | 0 | 0 | 0 | Sonoma_Geothermal | Geothermal | 0 | 0 | 0 | 0 | Sonoma_Geothermal | Geothermal | 0 | 0 | 0 | 0
Out-of-state | [5 empty] | Out-of-state | [5 empty] | Out-of-state
OR_Wind_ExistingTx | Wind | 423.2385 | 220.873 | 237.1648 | 155.01 | OR_Wind_ExistingTx | Wind | 70.5359 | 36.1463 | 0 | 0 | OR_Wind_ExistingTx | Wind | 0 | 0 | 0 | 0
OR_Wind_REC | Wind | 208.7371 | 0 | 141.6673 | 0 | OR_Wind_REC | Wind | 19.6973 | 0 | 0 | 0 | OR_Wind_REC | Wind | -112.5705 | 0 | -112.5705 | 0
WY_Wind_ExistingTx | Wind | 51.8385 | 51.8385 | 51.8385 | 51.8385 | WY_Wind_ExistingTx | Wind | 33.2149 | 33.2149 | 0 | 0 | WY_Wind_ExistingTx | Wind | 0 | 0 | 0 | 0
WY_Wind_NewTx_1 | Wind | 0 | 0 | 0 | 225.1516 | WY_Wind_NewTx_1 | Wind | 0 | 0 | 0 | 174.837 | WY_Wind_NewTx_1 | Wind | 0 | 0 | 0 | 0
AZ_Solar_ExistingTx | Solar | 0 | 45.5522 | 70.2875 | 70.2875 | AZ_Solar_ExistingTx | Solar | 0 | 10.534 | 0 | 0 | AZ_Solar_ExistingTx | Solar | 0 | 0 | 0 | 0
AZ_Solar_REC | Solar | 167.4715 | 167.4715 | 140.5749 | 140.5749 | AZ_Solar_REC | Solar | 38.728 | 38.728 | 0 | 0 | AZ_Solar_REC | Solar | -127.126 | -127.126 | -127.126 | -127.126
NM_Wind_ExistingTx | Wind | 103.677 | 103.677 | 103.677 | 103.677 | NM_Wind_ExistingTx | Wind | 72.1102 | 72.1102 | 0 | 0 | NM_Wind_ExistingTx | Wind | 0 | 0 | 0 | 0
NM_Wind_NewTx_1 | Wind | 0 | 0 | 0 | 218.9878 | NM_Wind_NewTx_1 | Wind | 0 | 0 | 0 | 98.1719 | NM_Wind_NewTx_1 | Wind | 0 | 0 | 0 | 0
UT_Wind_ExistingTx | Wind | 0 | 0 | 0 | 0 | UT_Wind_ExistingTx | Wind | 0 | 0 | 0 | 0 | UT_Wind_ExistingTx | Wind | 0 | 0 | 0 | 0
Grand Total without Storage |  | 3108.3889 | 2793.8655 | 2705.8914 | 2200.923 | Grand Total without Storage |  | 234.2863 | 190.7334 | 0 | 273.0088 | Grand Total without Storage |  | -239.6965 | -127.126 | -239.6965 | -127.126
Storage | [5 empty] | Storage | [5 empty] | Storage
Li-ion Battery | Storage | 43 | 0 | 0 | 0 | Li-ion Battery | Storage | 0 | 0 | 0 | 0 | Li-ion Battery | Storage | 0 | 0 | 0 | 0
Pumped Storage | Storage | 146 | 146 | 146 | 146 | Pumped Storage | Storage | 0 | 0 | 0 | 0 | Pumped Storage | Storage | 0 | 0 | 0 | 0
Grand Total with Storage |  | 3297.3889 | 2939.8655 | 2851.8914 | 2346.923 | Grand Total with Storage |  | 234.2863 | 190.7334 | 0 | 273.0088 | Grand Total with Storage |  | -239.6965 | -127.126 | -239.6965 | -127.126

## CAISO CREZ Detail
Final 50% Renewable Portfolios, CAISO entities, by CREZ
Optimal 2030 Portfolio picked by RESOLVE Model and associated costs by CREZ
Incremental Renewable Build by 2030 (MW) | [5 empty] | Incremental Renewable Generation by 2030 (GWh)
Resource (CREZ) | Technology | Scenario 1a | Scenario 1b | Scenario 2 | Scenario 3 | Resource (CREZ) | Technology | Scenario 1a | Scenario 1b | Scenario 2 | Scenario 3
Greater_Imperial_Geothermal | Geothermal | 500 | 500 | 500 | 500 | Greater_Imperial_Geothermal | Geothermal | 3942 | 3942 | 3942 | 3942
Greater_Carrizo_Solar | Solar | 570 | 570 | 570 | 0 | Greater_Carrizo_Solar | Solar | 1624 | 1624 | 1624 | 0
Kramer_Inyokern_Solar | Solar | 375 | 375 | 375 | 375 | Kramer_Inyokern_Solar | Solar | 1115 | 1115 | 1115 | 1115
Mountain_Pass_El_Dorado_Solar | Solar | 0 | 0 | 0 | 0 | Mountain_Pass_El_Dorado_Solar | Solar | 0 | 0 | 0 | 0
Riverside_East_Palm_Springs_Solar | Solar | 331 | 2459 | 1984 | 0 | Riverside_East_Palm_Springs_Solar | Solar | 930 | 6918 | 5582 | 0
Tehachapi_Solar | Solar | 2500 | 2500 | 2500 | 1761 | Tehachapi_Solar | Solar | 7234 | 7234 | 7234 | 5096
Westlands_Solar | Solar | 1450 | 0 | 0 | 0 | Westlands_Solar | Solar | 3987 | 0 | 0 | 0
Central_Valley_North_Los_Banos_Wind | Wind | 150 | 150 | 150 | 150 | Central_Valley_North_Los_Banos_Wind | Wind | 394 | 394 | 394 | 394
Greater_Carrizo_Wind | Wind | 500 | 500 | 500 | 500 | Greater_Carrizo_Wind | Wind | 1358 | 1358 | 1358 | 1358
Greater_Imperial_Wind | Wind | 400 | 400 | 400 | 400 | Greater_Imperial_Wind | Wind | 1244 | 1244 | 1244 | 1244
Riverside_East_Palm_Springs_Wind | Wind | 500 | 500 | 0 | 0 | Riverside_East_Palm_Springs_Wind | Wind | 1448 | 1448 | 0 | 0
Solano_Wind | Wind | 600 | 600 | 0 | 0 | Solano_Wind | Wind | 1436 | 1436 | 0 | 0
Tehachapi_Wind | Wind | 850 | 850 | 850 | 850 | Tehachapi_Wind | Wind | 2601 | 2601 | 2601 | 2601
Owens_Valley_Solar | Solar | 0 | 0 | 0 | 0 | Owens_Valley_Solar | Solar | 0 | 0 | 0 | 0
Greater_Imperial_Solar | Solar | 0 | 0 | 0 | 0 | Greater_Imperial_Solar | Solar | 0 | 0 | 0 | 0
Sonoma_Geothermal | Geothermal | 0 | 0 | 0 | 0 | Sonoma_Geothermal | Geothermal | 0 | 0 | 0 | 0
Out-of-state | [5 empty] | Out-of-state
OR_Wind_ExistingTx | Wind | 1000 | 0 | 114.512 | 0 | OR_Wind_ExistingTx | Wind | 2803 | 0 | 321 | 0
OR_Wind_REC | Wind | 1000 | 0 | 1000 | 0 | OR_Wind_REC | Wind | 2803 | 0 | 2803 | 0
WY_Wind_ExistingTx | Wind | 500 | 500 | 500 | 500 | WY_Wind_ExistingTx | Wind | 1708 | 1708 | 1708 | 1708
WY_Wind_NewTx_1 | Wind | 0 | 0 | 0 | 1500 | WY_Wind_NewTx_1 | Wind |  |  | 0 | 6044
AZ_Solar_ExistingTx | Solar | 0 | 272.9074 | 500 | 500 | AZ_Solar_ExistingTx | Solar | 0 | 809 | 1489 | 1489
AZ_Solar_REC | Solar | 1000 | 1000 | 1000 | 1000 | AZ_Solar_REC | Solar | 2978 | 2978 | 2978 | 2978
NM_Wind_ExistingTx | Wind | 1000 | 1000 | 1000 | 1000 | NM_Wind_ExistingTx | Wind | 3416 | 3416 | 3416 | 3416
NM_Wind_NewTx_1 | Wind | 0 | 0 | 0 | 1500 | NM_Wind_NewTx_1 | Wind |  |  | 0 | 6044
UT_Wind_ExistingTx | Wind | 0 | 0 | 0 | 0 | UT_Wind_ExistingTx | Wind | 0 | 0 | 0 | 0
Grand Total |  | 13226 | 12176.9074 | 11943.512 | 10536 | Grand Total |  | 41021 | 38225 | 37809 | 37429
Storage | [5 empty] | Storage
Li-ion Battery | Storage | 472 | 0 | 0 | 0 | Li-ion Battery | Storage | 0 | 0 | 0 | 0
Pumped Storage | Storage | 500 | 500 | 500 | 500 | Pumped Storage | Storage | 0 | 0 | 0 | 0
Note: This buildout is incremental to the portfolio in "Existing 33% Portfolio"
Annualized Investment Costs in 2030 by CREZ (excl. transmission; $MM) | [5 empty] | Annualized Transmission Cost in 2030 by CREZ (new construction and wheeling; $MM) | [5 empty] | Annualized Energy Credit for REC Resources in 2030 by CREZ (REC resources only; $MM)
Resource (CREZ) | Technology | Scenario 1a | Scenario 1b | Scenario 2 | Scenario 3 | Resource (CREZ) | Technology | Scenario 1a | Scenario 1b | Scenario 2 | Scenario 3 | Resource (CREZ) | Technology | Scenario 1a | Scenario 1b | Scenario 2 | Scenario 3
Greater_Imperial_Geothermal | Geothermal | 378.7324 | 378.7324 | 378.7324 | 378.7324 | Greater_Imperial_Geothermal | Geothermal | 0 | 0 | 0 | 0 | Greater_Imperial_Geothermal | Geothermal | 0 | 0 | 0 | 0
Greater_Carrizo_Solar | Solar | 89.8638 | 89.8638 | 89.8638 | 0 | Greater_Carrizo_Solar | Solar | 0 | 0 | 0 | 0 | Greater_Carrizo_Solar | Solar | 0 | 0 | 0 | 0
Kramer_Inyokern_Solar | Solar | 59.1209 | 59.1209 | 59.1209 | 59.1209 | Kramer_Inyokern_Solar | Solar | 0 | 0 | 0 | 0 | Kramer_Inyokern_Solar | Solar | 0 | 0 | 0 | 0
Mountain_Pass_El_Dorado_Solar | Solar | 0 | 0 | 0 | 0 | Mountain_Pass_El_Dorado_Solar | Solar | 0 | 0 | 0 | 0 | Mountain_Pass_El_Dorado_Solar | Solar | 0 | 0 | 0 | 0
Riverside_East_Palm_Springs_Solar | Solar | 52.184 | 387.6754 | 312.789 | 0 | Riverside_East_Palm_Springs_Solar | Solar | 0 | 0 | 0 | 0 | Riverside_East_Palm_Springs_Solar | Solar | 0 | 0 | 0 | 0
Tehachapi_Solar | Solar | 394.1393 | 394.1393 | 394.1393 | 277.6317 | Tehachapi_Solar | Solar | 0 | 0 | 0 | 0 | Tehachapi_Solar | Solar | 0 | 0 | 0 | 0
Westlands_Solar | Solar | 284.4645 | 0 | 0 | 0 | Westlands_Solar | Solar | 0 | 0 | 0 | 0 | Westlands_Solar | Solar | 0 | 0 | 0 | 0
Central_Valley_North_Los_Banos_Wind | Wind | 20.6649 | 20.6649 | 20.6649 | 20.6649 | Central_Valley_North_Los_Banos_Wind | Wind | 0 | 0 | 0 | 0 | Central_Valley_North_Los_Banos_Wind | Wind | 0 | 0 | 0 | 0
Greater_Carrizo_Wind | Wind | 68.2947 | 68.2947 | 68.2947 | 68.2947 | Greater_Carrizo_Wind | Wind | 0 | 0 | 0 | 0 | Greater_Carrizo_Wind | Wind | 0 | 0 | 0 | 0
Greater_Imperial_Wind | Wind | 54.5291 | 54.5291 | 54.5291 | 54.5291 | Greater_Imperial_Wind | Wind | 0 | 0 | 0 | 0 | Greater_Imperial_Wind | Wind | 0 | 0 | 0 | 0
Riverside_East_Palm_Springs_Wind | Wind | 84.0745 | 84.0745 | 0 | 0 | Riverside_East_Palm_Springs_Wind | Wind | 0 | 0 | 0 | 0 | Riverside_East_Palm_Springs_Wind | Wind | 0 | 0 | 0 | 0
Solano_Wind | Wind | 84.8109 | 84.8109 | 0 | 0 | Solano_Wind | Wind | 0 | 0 | 0 | 0 | Solano_Wind | Wind | 0 | 0 | 0 | 0
Tehachapi_Wind | Wind | 125.6734 | 125.6734 | 125.6734 | 125.6734 | Tehachapi_Wind | Wind | 0 | 0 | 0 | 0 | Tehachapi_Wind | Wind | 0 | 0 | 0 | 0
Owens_Valley_Solar | Solar | 0 | 0 | 0 | 0 | Owens_Valley_Solar | Solar | 0 | 0 | 0 | 0 | Owens_Valley_Solar | Solar | 0 | 0 | 0 | 0
Greater_Imperial_Solar | Solar | 0 | 0 | 0 | 0 | Greater_Imperial_Solar | Solar | 0 | 0 | 0 | 0 | Greater_Imperial_Solar | Solar | 0 | 0 | 0 | 0
Sonoma_Geothermal | Geothermal | 0 | 0 | 0 | 0 | Sonoma_Geothermal | Geothermal | 0 | 0 | 0 | 0 | Sonoma_Geothermal | Geothermal | 0 | 0 | 0 | 0
Out-of-state | [5 empty] | Out-of-state |  | 0 | 0 | 0 | 0 | Out-of-state
OR_Wind_ExistingTx | Wind | 202.3655 | 0 | 16.2917 | 0 | OR_Wind_ExistingTx | Wind | 34.3896 | 0 | 0 | 0 | OR_Wind_ExistingTx | Wind | 0 | 0 | 0 | 0
OR_Wind_REC | Wind | 208.7371 | 0 | 141.6673 | 0 | OR_Wind_REC | Wind | 19.6973 | 0 | 0 | 0 | OR_Wind_REC | Wind | -112.5705 | 0 | -112.5705 | 0
WY_Wind_ExistingTx | Wind | 51.8385 | 51.8385 | 51.8385 | 51.8385 | WY_Wind_ExistingTx | Wind | 33.2149 | 33.2149 | 0 | 0 | WY_Wind_ExistingTx | Wind | 0 | 0 | 0 | 0
WY_Wind_NewTx_1 | Wind | 0 | 0 | 0 | 132.1447 | WY_Wind_NewTx_1 | Wind | 0 | 0 | 0 | 131.4783 | WY_Wind_NewTx_1 | Wind | 0 | 0 | 0 | 0
AZ_Solar_ExistingTx | Solar | 0 | 45.5522 | 70.2875 | 70.2875 | AZ_Solar_ExistingTx | Solar | 0 | 10.534 | 0 | 0 | AZ_Solar_ExistingTx | Solar | 0 | 0 | 0 | 0
AZ_Solar_REC | Solar | 167.4715 | 167.4715 | 140.5749 | 140.5749 | AZ_Solar_REC | Solar | 38.728 | 38.728 | 0 | 0 | AZ_Solar_REC | Solar | -127.126 | -127.126 | -127.126 | -127.126
NM_Wind_ExistingTx | Wind | 103.677 | 103.677 | 103.677 | 103.677 | NM_Wind_ExistingTx | Wind | 72.1102 | 72.1102 | 0 | 0 | NM_Wind_ExistingTx | Wind | 0 | 0 | 0 | 0
NM_Wind_NewTx_1 | Wind | 0 | 0 | 0 | 132.1447 | NM_Wind_NewTx_1 | Wind | 0 | 0 | 0 | 75.0594 | NM_Wind_NewTx_1 | Wind | 0 | 0 | 0 | 0
UT_Wind_ExistingTx | Wind | 0 | 0 | 0 | 0 | UT_Wind_ExistingTx | Wind | 0 | 0 | 0 | 0 | UT_Wind_ExistingTx | Wind | 0 | 0 | 0 | 0
Grand Total without Storage |  | 2430.642 | 2116.1185 | 2028.1445 | 1615.3146 | Grand Total without Storage |  | 198.14 | 154.5871 | 0 | 206.5376 | Grand Total without Storage |  | -239.6965 | -127.126 | -239.6965 | -127.126
Storage | [5 empty] | Storage | [5 empty] | Storage
Li-ion Battery | Storage | 43 | 0 | 0 | 0 | Li-ion Battery | Storage | 0 | 0 | 0 | 0 | Li-ion Battery | Storage | 0 | 0 | 0 | 0
Pumped Storage | Storage | 146 | 146 | 146 | 146 | Pumped Storage | Storage | 0 | 0 | 0 | 0 | Pumped Storage | Storage | 0 | 0 | 0 | 0
Grand Total with Storage |  | 2619.642 | 2262.1185 | 2174.1445 | 1761.3146 | Grand Total with Storage |  | 198.14 | 154.5871 | 0 | 206.5376 | Grand Total with Storage |  | -239.6965 | -127.126 | -239.6965 | -127.126
| Tx Costs by Crez | [6 empty] | Investment Cost By CREZ
|  | Scenario 1a | Scenario 1b | Scenario 2 | Scenario 3 |  |  | Scenario 1a | Scenario 1b | Scenario 2 | Scenario 3
| CAISO_New_Flow_Battery | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
| CAISO_New_Li_Battery | 0 | 0 | 0 | 0 |  |  | 21.6183 | 0 | 0 | 0
| CAISO_New_Pumped_Storage | 0 | 0 | 0 | 0 |  |  | 72.7756 | 72.7756 | 72.7756 | 72.7756
| CAISO_New_Flow_Battery | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
| CAISO_New_Li_Battery | 0 | 0 | 0 | 0 |  |  | 21.3805 | 0 | 0 | 0
| CAISO_New_Pumped_Storage | 0 | 0 | 0 | 0 |  |  | 72.7756 | 72.7756 | 72.7756 | 72.7756
| Northern_California_Solar | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
| Solano_Solar | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
| Central_Valley_North_Los_Banos_Solar | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
| Westlands_Solar | 0 | 0 | 0 | 0 |  |  | 284.4645 | 0 | 0 | 0
| Greater_Carrizo_Solar | 0 | 0 | 0 | 0 |  |  | 89.8638 | 89.8638 | 89.8638 | 0
| Tehachapi_Solar | 0 | 0 | 0 | 0 |  |  | 394.1393 | 394.1393 | 394.1393 | 277.6317
| Kramer_Inyokern_Solar | 0 | 0 | 0 | 0 |  |  | 59.1209 | 59.1209 | 59.1209 | 59.1209
| Mountain_Pass_El_Dorado_Solar | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
| Southern_California_Desert_Solar | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
| Riverside_East_Palm_Springs_Solar | 0 | 0 | 0 | 0 |  |  | 52.184 | 387.6754 | 312.789 | 0
| Greater_Imperial_Solar | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
| Distributed_Solar | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
| Solano_Wind | 0 | 0 | 0 | 0 |  |  | 84.8109 | 84.8109 | 0 | 0
| Central_Valley_North_Los_Banos_Wind | 0 | 0 | 0 | 0 |  |  | 20.6649 | 20.6649 | 20.6649 | 20.6649
| Greater_Carrizo_Wind | 0 | 0 | 0 | 0 |  |  | 68.2947 | 68.2947 | 68.2947 | 68.2947
| Tehachapi_Wind | 0 | 0 | 0 | 0 |  |  | 125.6734 | 125.6734 | 125.6734 | 125.6734
| Riverside_East_Palm_Springs_Wind | 0 | 0 | 0 | 0 |  |  | 84.0745 | 84.0745 | 0 | 0
| Greater_Imperial_Wind | 0 | 0 | 0 | 0 |  |  | 54.5291 | 54.5291 | 54.5291 | 54.5291
| InState_Biomass | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
| Greater_Imperial_Geothermal | 0 | 0 | 0 | 0 |  |  | 378.7324 | 378.7324 | 378.7324 | 378.7324
| Sonoma_Geothermal | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
| NM_Wind_NewTx_1 | 0 | 0 | 0 | 75.0594 |  |  | 0 | 0 | 0 | 132.1447
| NM_Wind_NewTx_2 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
| WY_Wind_NewTx_1 | 0 | 0 | 0 | 131.4783 |  |  | 0 | 0 | 0 | 132.1447
| WY_Wind_NewTx_2 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
| NM_Wind_ExistingTx | 72.1102 | 72.1102 | 0 | 0 |  |  | 103.677 | 103.677 | 103.677 | 103.677
| OR_Wind_ExistingTx | 34.3896 | 0 | 0 | 0 |  |  | 202.3655 | 0 | 16.2917 | 0
| WY_Wind_ExistingTx | 33.2149 | 33.2149 | 0 | 0 |  |  | 51.8385 | 51.8385 | 51.8385 | 51.8385
| AZ_Solar_ExistingTx | 0 | 10.534 | 0 | 0 |  |  | 0 | 45.5522 | 70.2875 | 70.2875
| OR_Wind_REC | 19.6973 | 0 | 0 | 0 |  |  | 208.7371 | 0 | 141.6673 | 0
| AZ_Solar_REC | 38.728 | 38.728 | 0 | 0 |  |  | 167.4715 | 167.4715 | 140.5749 | 140.5749

## Muni Crez Detail
Final 50% Renewable Portfolios, non-CAISO entities, by CREZ
Handpicked non-CAISO Portfolios representative of plausible renewable procurement activities under each scenario
Incremental Renewable Build by 2030 (MW) | [5 empty] | Incremental Renewable Generation by 2030 (GWh)
Resource (CREZ) | Technology | Scenario 1a | Scenario 1b | Scenario 2 | Scenario 3 | Resource (CREZ) | Technology | Scenario 1a | Scenario 1b | Scenario 2 | Scenario 3
Greater_Imperial_Geothermal | Geothermal | 0 | 0 | 0 | 0 | Greater_Imperial_Geothermal | Geothermal | 0 | 0 | 0 | 0
Greater_Carrizo_Solar | Solar | 0 | 0 | 0 | 0 | Greater_Carrizo_Solar | Solar | 0 | 0 | 0 | 0
Kramer_Inyokern_Solar | Solar | 0 | 0 | 0 | 0 | Kramer_Inyokern_Solar | Solar | 0 | 0 | 0 | 0
Mountain_Pass_El_Dorado_Solar | Solar | 0 | 0 | 0 | 0 | Mountain_Pass_El_Dorado_Solar | Solar | 0 | 0 | 0 | 0
Riverside_East_Palm_Springs_Solar | Solar | 0 | 0 | 0 | 0 | Riverside_East_Palm_Springs_Solar | Solar | 0 | 0 | 0 | 0
Tehachapi_Solar | Solar | 0 | 0 | 0 | 0 | Tehachapi_Solar | Solar | 0 | 0 | 0 | 0
Westlands_Solar | Solar | 873.1374 | 873.1374 | 873.1374 | 485.8115 | Westlands_Solar | Solar | 2400.7182 | 2400.7182 | 2400.7182 | 1335.7536
Central_Valley_North_Los_Banos_Wind | Wind | 0 | 0 | 0 | 0 | Central_Valley_North_Los_Banos_Wind | Wind | 0 | 0 | 0 | 0
Greater_Carrizo_Wind | Wind | 0 | 0 | 0 | 0 | Greater_Carrizo_Wind | Wind | 0 | 0 | 0 | 0
Greater_Imperial_Wind | Wind | 0 | 0 | 0 | 0 | Greater_Imperial_Wind | Wind | 0 | 0 | 0 | 0
Riverside_East_Palm_Springs_Wind | Wind | 0 | 0 | 0 | 0 | Riverside_East_Palm_Springs_Wind | Wind | 0 | 0 | 0 | 0
Solano_Wind | Wind | 0 | 0 | 0 | 0 | Solano_Wind | Wind | 0 | 0 | 0 | 0
Tehachapi_Wind | Wind | 0 | 0 | 0 | 0 | Tehachapi_Wind | Wind | 0 | 0 | 0 | 0
Owens_Valley_Solar | Solar | 578.2931 | 578.2931 | 578.2931 | 305.4414 | Owens_Valley_Solar | Solar | 1671.7296 | 1671.7296 | 1671.7296 | 882.9699
Greater_Imperial_Solar | Solar | 923.3171 | 923.3171 | 923.3171 | 512.3816 | Greater_Imperial_Solar | Solar | 2519.1796 | 2519.1796 | 2519.1796 | 1396.976
Sonoma_Geothermal | Geothermal | 0 | 0 | 0 | 0 | Sonoma_Geothermal | Geothermal | 0 | 0 | 0 | 0
Out-of-state | [5 empty] | Out-of-state
OR_Wind_ExistingTx | Wind | 447.0826 | 447.0826 | 447.0826 | 317.6735 | OR_Wind_ExistingTx | Wind | 1253.2618 | 1253.2618 | 1253.2618 | 890.5024
OR_Wind_REC | Wind | 0 | 0 | 0 | 0 | OR_Wind_REC | Wind | 0 | 0 | 0 | 0
WY_Wind_ExistingTx | Wind | 0 | 0 | 0 | 0 | WY_Wind_ExistingTx | Wind | 0 | 0 | 0 | 0
WY_Wind_NewTx_1 | Wind | 0 | 0 | 0 | 494.6677 | WY_Wind_NewTx_1 | Wind | 0 | 0 | 0 | 1993.3131
AZ_Solar_ExistingTx | Solar | 0 | 0 | 0 | 0 | AZ_Solar_ExistingTx | Solar | 0 | 0 | 0 | 0
AZ_Solar_REC | Solar | 0 | 0 | 0 | 0 | AZ_Solar_REC | Solar | 0 | 0 | 0 | 0
NM_Wind_ExistingTx | Wind | 0 | 0 | 0 | 0 | NM_Wind_ExistingTx | Wind | 0 | 0 | 0 | 0
NM_Wind_NewTx_1 | Wind | 0 | 0 | 0 | 461.885 | NM_Wind_NewTx_1 | Wind | 0 | 0 | 0 | 1861.2118
UT_Wind_ExistingTx | Wind | 603.9993 | 603.9993 | 603.9993 | 419.9819 | UT_Wind_ExistingTx | Wind | 1693.1308 | 1693.1308 | 1693.1308 | 1177.2932
Grand Total |  | 3425.8294 | 3425.8294 | 3425.8294 | 2997.8426 | Grand Total |  | 9538.02 | 9538.02 | 9538.02 | 9538.02
Storage | [5 empty] | Storage
Li-ion Battery | Storage | 0 | 0 | 0 | 0 | Li-ion Battery | Storage | 0 | 0 | 0 | 0
Pumped Storage | Storage | 0 | 0 | 0 | 0 | Pumped Storage | Storage | 0 | 0 | 0 | 0
Note: This portfolio represents the incremental buildout to go from 33% to 50%
These portfolios were not varied for the sensitvity runs. The sensitivities only tested the modeled RESOLVE portfolios.
Annualized Investment Costs in 2030 by CREZ (excl. transmission; $MM) | [5 empty] | Annualized Transmission Cost in 2030 by CREZ (new construction and wheeling; $MM) | [5 empty] | Annualized Energy Credit for REC Resources in 2030 by CREZ (REC resources only; $MM)
Resource (CREZ) | Technology | Scenario 1a | Scenario 1b | Scenario 2 | Scenario 3 | Resource (CREZ) | Technology | Scenario 1a | Scenario 1b | Scenario 2 | Scenario 3 | Resource (CREZ) | Technology | Scenario 1a | Scenario 1b | Scenario 2 | Scenario 3
Greater_Imperial_Geothermal | Geothermal | 0 | 0 | 0 | 0 | Greater_Imperial_Geothermal | Geothermal | 0 | 0 | 0 | 0 | Greater_Imperial_Geothermal | Geothermal | 0 | 0 | 0 | 0
Greater_Carrizo_Solar | Solar | 0 | 0 | 0 | 0 | Greater_Carrizo_Solar | Solar | 0 | 0 | 0 | 0 | Greater_Carrizo_Solar | Solar | 0 | 0 | 0 | 0
Kramer_Inyokern_Solar | Solar | 0 | 0 | 0 | 0 | Kramer_Inyokern_Solar | Solar | 0 | 0 | 0 | 0 | Kramer_Inyokern_Solar | Solar | 0 | 0 | 0 | 0
Mountain_Pass_El_Dorado_Solar | Solar | 0 | 0 | 0 | 0 | Mountain_Pass_El_Dorado_Solar | Solar | 0 | 0 | 0 | 0 | Mountain_Pass_El_Dorado_Solar | Solar | 0 | 0 | 0 | 0
Riverside_East_Palm_Springs_Solar | Solar | 0 | 0 | 0 | 0 | Riverside_East_Palm_Springs_Solar | Solar | 0 | 0 | 0 | 0 | Riverside_East_Palm_Springs_Solar | Solar | 0 | 0 | 0 | 0
Tehachapi_Solar | Solar | 0 | 0 | 0 | 0 | Tehachapi_Solar | Solar | 0 | 0 | 0 | 0 | Tehachapi_Solar | Solar | 0 | 0 | 0 | 0
Westlands_Solar | Solar | 166.9972 | 166.9972 | 166.9972 | 92.9168 | Westlands_Solar | Solar | 0 | 0 | 0 | 0 | Westlands_Solar | Solar | 0 | 0 | 0 | 0
Central_Valley_North_Los_Banos_Wind | Wind | 0 | 0 | 0 | 0 | Central_Valley_North_Los_Banos_Wind | Wind | 0 | 0 | 0 | 0 | Central_Valley_North_Los_Banos_Wind | Wind | 0 | 0 | 0 | 0
Greater_Carrizo_Wind | Wind | 0 | 0 | 0 | 0 | Greater_Carrizo_Wind | Wind | 0 | 0 | 0 | 0 | Greater_Carrizo_Wind | Wind | 0 | 0 | 0 | 0
Greater_Imperial_Wind | Wind | 0 | 0 | 0 | 0 | Greater_Imperial_Wind | Wind | 0 | 0 | 0 | 0 | Greater_Imperial_Wind | Wind | 0 | 0 | 0 | 0
Riverside_East_Palm_Springs_Wind | Wind | 0 | 0 | 0 | 0 | Riverside_East_Palm_Springs_Wind | Wind | 0 | 0 | 0 | 0 | Riverside_East_Palm_Springs_Wind | Wind | 0 | 0 | 0 | 0
Solano_Wind | Wind | 0 | 0 | 0 | 0 | Solano_Wind | Wind | 0 | 0 | 0 | 0 | Solano_Wind | Wind | 0 | 0 | 0 | 0
Tehachapi_Wind | Wind | 0 | 0 | 0 | 0 | Tehachapi_Wind | Wind | 0 | 0 | 0 | 0 | Tehachapi_Wind | Wind | 0 | 0 | 0 | 0
Owens_Valley_Solar | Solar | 110.605 | 110.605 | 110.605 | 58.4191 | Owens_Valley_Solar | Solar | 0 | 0 | 0 | 0 | Owens_Valley_Solar | Solar | 0 | 0 | 0 | 0
Greater_Imperial_Solar | Solar | 179.2717 | 179.2717 | 179.2717 | 99.4126 | Greater_Imperial_Solar | Solar | 0 | 0 | 0 | 0 | Greater_Imperial_Solar | Solar | 0 | 0 | 0 | 0
Sonoma_Geothermal | Geothermal | 0 | 0 | 0 | 0 | Sonoma_Geothermal | Geothermal | 0 | 0 | 0 | 0 | Sonoma_Geothermal | Geothermal | 0 | 0 | 0 | 0
Out-of-state | [5 empty] | Out-of-state | [5 empty] | Out-of-state
OR_Wind_ExistingTx | Wind | 220.873 | 220.873 | 220.873 | 155.01 | OR_Wind_ExistingTx | Wind | 36.1463 | 36.1463 | 0 | 0 | OR_Wind_ExistingTx | Wind | 0 | 0 | 0 | 0
OR_Wind_REC | Wind | 0 | 0 | 0 | 0 | OR_Wind_REC | Wind | 0 | 0 | 0 | 0 | OR_Wind_REC | Wind | 0 | 0 | 0 | 0
WY_Wind_ExistingTx | Wind | 0 | 0 | 0 | 0 | WY_Wind_ExistingTx | Wind | 0 | 0 | 0 | 0 | WY_Wind_ExistingTx | Wind | 0 | 0 | 0 | 0
WY_Wind_NewTx_1 | Wind | 0 | 0 | 0 | 93.0069 | WY_Wind_NewTx_1 | Wind | 0 | 0 | 0 | 43.3587 | WY_Wind_NewTx_1 | Wind | 0 | 0 | 0 | 0
AZ_Solar_ExistingTx | Solar | 0 | 0 | 0 | 0 | AZ_Solar_ExistingTx | Solar | 0 | 0 | 0 | 0 | AZ_Solar_ExistingTx | Solar | 0 | 0 | 0 | 0
AZ_Solar_REC | Solar | 0 | 0 | 0 | 0 | AZ_Solar_REC | Solar | 0 | 0 | 0 | 0 | AZ_Solar_REC | Solar | 0 | 0 | 0 | 0
NM_Wind_ExistingTx | Wind | 0 | 0 | 0 | 0 | NM_Wind_ExistingTx | Wind | 0 | 0 | 0 | 0 | NM_Wind_ExistingTx | Wind | 0 | 0 | 0 | 0
NM_Wind_NewTx_1 | Wind | 0 | 0 | 0 | 86.8431 | NM_Wind_NewTx_1 | Wind | 0 | 0 | 0 | 23.1125 | NM_Wind_NewTx_1 | Wind | 0 | 0 | 0 | 0
UT_Wind_ExistingTx | Wind | 0 | 0 | 0 | 0 | UT_Wind_ExistingTx | Wind | 0 | 0 | 0 | 0 | UT_Wind_ExistingTx | Wind | 0 | 0 | 0 | 0
Grand Total without Storage |  | 677.7469 | 677.7469 | 677.7469 | 585.6085 | Grand Total without Storage |  | 36.1463 | 36.1463 | 0 | 66.4712 | Grand Total without Storage |  | 0 | 0 | 0 | 0
Storage | [5 empty] | Storage | [5 empty] | Storage
Li-ion Battery | Storage | 0 | 0 | 0 | 0 | Li-ion Battery | Storage | 0 | 0 | 0 | 0 | Li-ion Battery | Storage | 0 | 0 | 0 | 0
Pumped Storage | Storage | 0 | 0 | 0 | 0 | Pumped Storage | Storage | 0 | 0 | 0 | 0 | Pumped Storage | Storage | 0 | 0 | 0 | 0
Grand Total with Storage |  | 677.7469 | 677.7469 | 677.7469 | 585.6085 | Grand Total with Storage |  | 36.1463 | 36.1463 | 0 | 66.4712 | Grand Total with Storage |  | 0 | 0 | 0 | 0

## Sensitivities Results
Sensitivity Results
Sensitivity | Base Case |  |  |  | High Energy Efficiency |  |  |  | High Out of State Availability |  |  |  | High Flexible Loads |  |  |  | Low portfolio diversity |  |  |  | High rooftop PV |  |  |  | Higher RPS (55%) |  |  |  | Low Cost Solar
Description |  |  |  |  | Doubling of AAEE by 2030 |  |  |  | Increase available SW Solar and NW Wind RECs to 25% of 50% RPS goal (CAISO only): 4526 MW of NW Wind RECs and 4279 MW of SW Solar RECs |  |  |  | Add 3000 MW of 4-hour batteries in all scenarios |  |  |  | Remove pumped storage and geothermal adjustments and restrict California wind to 2000 MW in all scenarios |  |  |  | Inrease CAISO rooftop PV from 16 GW to 21 GW by 2030 |  |  |  | A 55% RPS Case |  |  |  | Reduce solar cost to $1/W-dc by 2025
RESOLVE Results for CAISO
New Resources (MW) | Scenario 1a | Scenario 1b | Scenario 2 | Scenario 3 | Scenario 1a | Scenario 1b | Scenario 2 | Scenario 3 | Scenario 1a | Scenario 1b | Scenario 2 | Scenario 3 | Scenario 1a | Scenario 1b | Scenario 2 | Scenario 3 | Scenario 1a | Scenario 1b | Scenario 2 | Scenario 3 | Scenario 1a | Scenario 1b | Scenario 2 | Scenario 3 | Scenario 1a | Scenario 1b | Scenario 2 | Scenario 3 | Scenario 1a | Scenario 1b | Scenario 2 | Scenario 3
California Solar | 5226 | 5904 | 5429 | 2136 | 2875 | 4071 | 3580 | 0 | 3349 | 4611 | 2962 | 0 | 6126 | 6520 | 6218 | 2326 | 7549 | 7677 | 5806 | 3905 | 4771 | 5304 | 3403 | 992 | 9839.6457 | 7577.2834 | 7326.6427 | 4312.702 | 7354 | 7309 | 6641 | 2752
California Wind | 3000 | 3000 | 1900 | 1900 | 3000 | 2400 | 1900 | 1480 | 3000 | 2106 | 1900 | 1750 | 3000 | 2400 | 1900 | 1900 | 2000 | 2000 | 2000 | 1500 | 3000 | 3000 | 1900 | 1900 | 3000 | 3000 | 3000 | 1900 | 3000 | 1900 | 1900 | 1250
California Geothermal | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 0 | 0 | 0 | 0 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500
Northwest Wind, Existing Transmission | 1000 | 0 | 115 | 0 | 697 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1000 | 153 | 1000 | 0 | 1000 | 0 | 1000 | 0 | 1000 | 1000 | 1000 | 0 | 0 | 0 | 0 | 0
Northwest Wind RECs | 1000 | 0 | 1000 | 0 | 1000 | 0 | 364 | 0 | 0 | 0 | 0 | 0 | 1000 | 0 | 455 | 0 | 1000 | 290 | 1000 | 0 | 1000 | 0 | 1000 | 0 | 1000 | 1000 | 1000 | 0 | 344 | 0 | 0 | 0
Utah Wind, Existing Transmission | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wyoming Wind, Existing Transmission | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500
Wyoming Wind, New Transmission | 0 | 0 | 0 | 1500 | 0 | 0 | 0 | 1500 | 0 | 0 | 0 | 1500 | 0 | 0 | 0 | 1500 | 0 | 0 | 0 | 1500 | 0 | 0 | 0 | 1500 | 0 | 0 | 0 | 2628.294 | 0 | 0 | 0 | 1500
Southwest Solar, Existing Transmission | 0 | 272 | 500 | 500 | 0 | 0 | 500 | 500 | 0 | 0 | 500 | 500 | 0 | 236 | 500 | 500 | 500 | 500 | 500 | 500 | 0 | 0 | 500 | 500 | 500 | 500 | 500 | 500 | 0 | 0 | 500 | 500
Southwest Solar RECs | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 4279 | 3118 | 4279 | 3188 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
New Mexico Wind, Existing Transmission | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
New Mexico Wind, New Transmission | 0 | 0 | 0 | 1500 | 0 | 0 | 0 | 1500 | 0 | 0 | 0 | 1500 | 0 | 0 | 0 | 1500 | 0 | 0 | 0 | 1500 | 0 | 0 | 0 | 1500 | 0 | 0 | 0 | 1500 | 0 | 0 | 0 | 1500
Total CA Resources | 8726 | 9404 | 7829 | 4536 | 6375 | 6971 | 5980 | 1980 | 6849 | 7217 | 5362 | 2250 | 9626 | 9420 | 8618 | 4726 | 9549 | 9677 | 7806 | 5405 | 8271 | 8804 | 5803 | 3392 | 13339.6457 | 11077.2834 | 10826.6427 | 6712.702 | 10854 | 9709 | 9041 | 4502
Total Out-of-State Resources | 4500 | 2772 | 4115 | 6000 | 4197 | 2500 | 3364 | 6000 | 5779 | 4618 | 6279 | 8188 | 3500 | 2736 | 3455 | 6000 | 5000 | 3443 | 5000 | 6000 | 4500 | 2500 | 5000 | 6000 | 5000 | 5000 | 5000 | 7128.294 | 2844 | 2500 | 3000 | 6000
Total Renewable Resources | 13226 | 12176 | 11944 | 10536 | 10572 | 9471 | 9344 | 7980 | 12628 | 11835 | 11641 | 10438 | 13126 | 12156 | 12073 | 10726 | 14549 | 13120 | 12806 | 11405 | 12771 | 11304 | 10803 | 9392 | 18339.6457 | 16077.2834 | 15826.6427 | 13840.996 | 13698 | 12209 | 12041 | 10502
Batteries | 472 | 0 | 0 | 0 | 388 | 0 | 0 | 0 | 98 | 0 | 0 | 0 | 87 | 0 | 0 | 0 | 1070 | 183 | 0 | 0 | 1047 | 17 | 0 | 0 | 1309 | 3 | 0 | 0 | 627 | 0 | 0 | 0
Pumped Hydro | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 0 | 0 | 0 | 0 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500
Costs ($MM) | Scenario 1a | Scenario 1b | Scenario 2 | Scenario 3 | Scenario 1a | Scenario 1b | Scenario 2 | Scenario 3 | Scenario 1a | Scenario 1b | Scenario 2 | Scenario 3 | Scenario 1a | Scenario 1b | Scenario 2 | Scenario 3 | Scenario 1a | Scenario 1b | Scenario 2 | Scenario 3 | Scenario 1a | Scenario 1b | Scenario 2 | Scenario 3 | Scenario 1a | Scenario 1b | Scenario 2 | Scenario 3 | Scenario 1a | Scenario 1b | Scenario 2 | Scenario 3
Annualized Investment Costs | 2619.1921 | 2261.6698 | 2173.6957 | 1760.8658 | 2128.2269 | 1842.2821 | 1775.6937 | 1366.5964 | 2358.7417 | 2232.6973 | 2087.7393 | 1711.0209 | 2500.2496 | 2267.8071 | 2205 | 1790.4624 | 2504.496 | 2031.6091 | 1863 | 1460.4624 | 2583.86 | 2122.9469 | 1980 | 1580.4624 | 3693.496 | 3011.496 | 2783 | 2213.565 | 2512.0417 | 2227.119 | 2188.6804 | 1758.8658
Transmission Costs (new construction and wheeling; $MM) | 198.14 | 154.5871 | 0 | 206.5376 | 187.7199 | 144.0531 | 0 | 206.5376 | 271.0422 | 226.079 | 0 | 206.5376 | 163.7504 | 153.1929 | 0 | 206.5376 | 217.504 | 174.3909 | 0 | 206.5376 | 198.14 | 144.0531 | 0 | 206.5376 | 217.504 | 217.504 | 0 | 305.435 | 150.829 | 144.0531 | 0 | 206.5376
REC Revenue ($MM) | -239.6965 | -127.126 | -239.6965 | -127.126 | -239.6965 | -127.126 | -239.6965 | -127.126 | -239.6965 | -127.126 | -239.6965 | -127.126 | -239.6965 | -127.126 | -239.6965 | -127.126 | -239.6965 | -127.126 | -239.6965 | -127.126 | -239.6965 | -127.126 | -239.6965 | -127.126 | -239.6965 | -127.126 | -239.6965 | -127.126 | -239.6965 | -127.126 | -239.6965 | -127.126
Net Total Costs | 2577.6356 | 2289.131 | 1933.9992 | 1840.2775 | 2076.2503 | 1859.2093 | 1535.9972 | 1446.008 | 2390.0874 | 2331.6503 | 1848.0428 | 1790.4325 | 2424.3035 | 2293.874 | 1965.3035 | 1869.874 | 2482.3035 | 2078.874 | 1623.3035 | 1539.874 | 2542.3035 | 2139.874 | 1740.3035 | 1659.874 | 3671.3035 | 3101.874 | 2543.3035 | 2391.874 | 2423.1742 | 2244.0461 | 1948.9839 | 1838.2774
Procurement Savings Relative to Scenario 1a |  |  | 643.6363 | 737.3581 |  |  | 540.2532 | 630.2424 |  |  | 542.0446 | 599.6549 |  |  | 459 | 554.4295 |  |  | 859 | 942.4295 |  |  | 802 | 882.4295 |  |  | 1128 | 1279.4295 |  |  | 474.1903 | 584.8968
Procurement Savings Relative to Scenario 1b |  |  | 355.1317 | 448.8535 |  |  | 323.2121 | 413.2013 |  |  | 483.6075 | 541.2178 |  |  | 328.5705 | 424 |  |  | 455.5705 | 539 |  |  | 399.5705 | 480 |  |  | 558.5705 | 710 |  |  | 295.0622 | 405.7687
Renewable Energy Curtailment | Scenario 1a | Scenario 1b | Scenario 2 | Scenario 3 | Scenario 1a | Scenario 1b | Scenario 2 | Scenario 3 | Scenario 1a | Scenario 1b | Scenario 2 | Scenario 3 | Scenario 1a | Scenario 1b | Scenario 2 | Scenario 3 | Scenario 1a | Scenario 1b | Scenario 2 | Scenario 3 | Scenario 1a | Scenario 1b | Scenario 2 | Scenario 3 | Scenario 1a | Scenario 1b | Scenario 2 | Scenario 3 | Scenario 1a | Scenario 1b | Scenario 2 | Scenario 3
Curtailment as % of available RPS energy | 4.532% | 1.953% | 1.557% | 1.194% | 4.778% | 1.995% | 1.667% | 1.245% | 3.597% | 1.548% | 1.254% | 1.109% | 4.3% | 2.1% | 1.9% | 1.7% | 5.9% | 2.3% | 1.5% | 1.2% | 6.8% | 3.1% | 2% | 1.5% | 7.1% | 2.4% | 1.82% | 1.267% | 5.725% | 2.115% | 1.787% | 1.222%
Statewide Results - Sum of RESOLVE results and handpicked Muni results
New Resources (MW) | Scenario 1a | Scenario 1b | Scenario 2 | Scenario 3 | Scenario 1a | Scenario 1b | Scenario 2 | Scenario 3 | Scenario 1a | Scenario 1b | Scenario 2 | Scenario 3 | Scenario 1a | Scenario 1b | Scenario 2 | Scenario 3 | Scenario 1a | Scenario 1b | Scenario 2 | Scenario 3 | Scenario 1a | Scenario 1b | Scenario 2 | Scenario 3 | Scenario 1a | Scenario 1b | Scenario 2 | Scenario 3 | Scenario 1a | Scenario 1b | Scenario 2 | Scenario 3
California Solar | 7600.7476 | 8278.7476 | 7803.7476 | 3439.6344 | 5249.7476 | 6445.7476 | 5954.7476 | 1303.6344 | 5723.7476 | 6985.7476 | 5336.7476 | 1303.6344 | 8500.7476 | 8894.7476 | 8592.7476 | 3629.6344 | 9923.7476 | 10051.7476 | 8180.7476 | 5208.6344 | 7145.7476 | 7678.7476 | 5777.7476 | 2295.6344 | 12214.3933 | 9952.031 | 9701.3903 | 5616.3364 | 9728.7476 | 9683.7476 | 9015.7476 | 4055.6344
California Wind | 3000 | 3000 | 1900 | 1900 | 3000 | 2400 | 1900 | 1480 | 3000 | 2106 | 1900 | 1750 | 3000 | 2400 | 1900 | 1900 | 2000 | 2000 | 2000 | 1500 | 3000 | 3000 | 1900 | 1900 | 3000 | 3000 | 3000 | 1900 | 3000 | 1900 | 1900 | 1250
California Geothermal | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 0 | 0 | 0 | 0 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500
Northwest Wind, Existing Transmission | 1447.0826 | 447.0826 | 562.0826 | 317.6735 | 1144.0826 | 447.0826 | 447.0826 | 317.6735 | 447.0826 | 447.0826 | 447.0826 | 317.6735 | 447.0826 | 447.0826 | 447.0826 | 317.6735 | 1447.0826 | 600.0826 | 1447.0826 | 317.6735 | 1447.0826 | 447.0826 | 1447.0826 | 317.6735 | 1447.0826 | 1447.0826 | 1447.0826 | 317.6735 | 447.0826 | 447.0826 | 447.0826 | 317.6735
Northwest Wind RECs | 1000 | 0 | 1000 | 0 | 1000 | 0 | 364 | 0 | 0 | 0 | 0 | 0 | 1000 | 0 | 455 | 0 | 1000 | 290 | 1000 | 0 | 1000 | 0 | 1000 | 0 | 1000 | 1000 | 1000 | 0 | 344 | 0 | 0 | 0
Utah Wind, Existing Transmission | 603.9993 | 603.9993 | 603.9993 | 419.9819 | 603.9993 | 603.9993 | 603.9993 | 419.9819 | 603.9993 | 603.9993 | 603.9993 | 419.9819 | 603.9993 | 603.9993 | 603.9993 | 419.9819 | 603.9993 | 603.9993 | 603.9993 | 419.9819 | 603.9993 | 603.9993 | 603.9993 | 419.9819 | 603.9993 | 603.9993 | 603.9993 | 419.9819 | 603.9993 | 603.9993 | 603.9993 | 419.9819
Wyoming Wind, Existing Transmission | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500
Wyoming Wind, New Transmission | 0 | 0 | 0 | 1994.6677 | 0 | 0 | 0 | 1994.6677 | 0 | 0 | 0 | 1994.6677 | 0 | 0 | 0 | 1994.6677 | 0 | 0 | 0 | 1994.6677 | 0 | 0 | 0 | 1994.6677 | 0 | 0 | 0 | 3122.9617 | 0 | 0 | 0 | 1994.6677
Southwest Solar, Existing Transmission | 0 | 272 | 500 | 500 | 0 | 0 | 500 | 500 | 0 | 0 | 500 | 500 | 0 | 236 | 500 | 500 | 500 | 500 | 500 | 500 | 0 | 0 | 500 | 500 | 500 | 500 | 500 | 500 | 0 | 0 | 500 | 500
Southwest Solar RECs | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 4279 | 3118 | 4279 | 3188 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
New Mexico Wind, Existing Transmission | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
New Mexico Wind, New Transmission | 0 | 0 | 0 | 1961.885 | 0 | 0 | 0 | 1961.885 | 0 | 0 | 0 | 1961.885 | 0 | 0 | 0 | 1961.885 | 0 | 0 | 0 | 1961.885 | 0 | 0 | 0 | 1961.885 | 0 | 0 | 0 | 1961.885 | 0 | 0 | 0 | 1961.885
Total CA Resources | 11100.7476 | 11778.7476 | 10203.7476 | 5839.6344 | 8749.7476 | 9345.7476 | 8354.7476 | 3283.6344 | 9223.7476 | 9591.7476 | 7736.7476 | 3553.6344 | 12000.7476 | 11794.7476 | 10992.7476 | 6029.6344 | 11923.7476 | 12051.7476 | 10180.7476 | 6708.6344 | 10645.7476 | 11178.7476 | 8177.7476 | 4695.6344 | 15714.3933 | 13452.031 | 13201.3903 | 8016.3364 | 13228.7476 | 12083.7476 | 11415.7476 | 5805.6344
Total Out-of-State Resources | 5551.0818 | 3823.0818 | 5166.0818 | 7694.2081 | 5248.0818 | 3551.0818 | 4415.0818 | 7694.2081 | 6830.0818 | 5669.0818 | 7330.0818 | 9882.2081 | 4551.0818 | 3787.0818 | 4506.0818 | 7694.2081 | 6051.0818 | 4494.0818 | 6051.0818 | 7694.2081 | 5551.0818 | 3551.0818 | 6051.0818 | 7694.2081 | 6051.0818 | 6051.0818 | 6051.0818 | 8822.5021 | 3895.0818 | 3551.0818 | 4051.0818 | 7694.2081
Total Renewable Resources | 16651.8294 | 15601.8294 | 15369.8294 | 13533.8426 | 13997.8294 | 12896.8294 | 12769.8294 | 10977.8426 | 16053.8294 | 15260.8294 | 15066.8294 | 13435.8426 | 16551.8294 | 15581.8294 | 15498.8294 | 13723.8426 | 17974.8294 | 16545.8294 | 16231.8294 | 14402.8426 | 16196.8294 | 14729.8294 | 14228.8294 | 12389.8426 | 21765.4751 | 19503.1128 | 19252.4721 | 16838.8386 | 17123.8294 | 15634.8294 | 15466.8294 | 13499.8426
Batteries | 472 | 0 | 0 | 0 | 388 | 0 | 0 | 0 | 98 | 0 | 0 | 0 | 87 | 0 | 0 | 0 | 1070 | 183 | 0 | 0 | 1047 | 17 | 0 | 0 | 1309 | 3 | 0 | 0 | 627 | 0 | 0 | 0
Pumped Hydro | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 0 | 0 | 0 | 0 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500
Costs ($MM) | Scenario 1a | Scenario 1b | Scenario 2 | Scenario 3 | Scenario 1a | Scenario 1b | Scenario 2 | Scenario 3 | Scenario 1a | Scenario 1b | Scenario 2 | Scenario 3 | Scenario 1a | Scenario 1b | Scenario 2 | Scenario 3 | Scenario 1a | Scenario 1b | Scenario 2 | Scenario 3 | Scenario 1a | Scenario 1b | Scenario 2 | Scenario 3 | Scenario 1a | Scenario 1b | Scenario 2 | Scenario 3 | Scenario 1a | Scenario 1b | Scenario 2 | Scenario 3
Annualized Investment Costs | 3297.1921 | 2939.6698 | 2851.6957 | 2346.8658 | 2806.1201 | 2520.1753 | 2453.4406 | 1952.6761 | 3036.6349 | 2910.5905 | 2765.4863 | 2297.1006 | 3178.1428 | 2945.7003 | 2882.7469 | 2376.5421 | 3182.3892 | 2709.5023 | 2540.7469 | 2046.5421 | 3261.7532 | 2800.8401 | 2657.7469 | 2166.5421 | 4371.3892 | 3689.3892 | 3460.7469 | 2799.6447 | 3189.9349 | 2905.0122 | 2866.4273 | 2344.9455
Transmission Costs (new construction and wheeling; $MM) | 234.14 | 190.5871 | 0 | 272.5376 | 223.7199 | 180.0531 | 0 | 272.5376 | 307.0422 | 262.079 | 0 | 272.5376 | 199.7504 | 189.1929 | 0 | 272.5376 | 253.504 | 210.3909 | 0 | 272.5376 | 234.14 | 180.0531 | 0 | 272.5376 | 253.504 | 253.504 | 0 | 371.435 | 186.829 | 180.0531 | 0 | 272.5376
REC Revenue ($MM) | -239.6965 | -127.126 | -239.6965 | -127.126 | -239.6965 | -127.126 | -239.6965 | -127.126 | -239.6965 | -127.126 | -239.6965 | -127.126 | -239.6965 | -127.126 | -239.6965 | -127.126 | -239.6965 | -127.126 | -239.6965 | -127.126 | -239.6965 | -127.126 | -239.6965 | -127.126 | -239.6965 | -127.126 | -239.6965 | -127.126 | -239.6965 | -127.126 | -239.6965 | -127.126
Net Total Costs | 3291.5288 | 3003.0242 | 2611.7461 | 2492.3572 | 2790.1436 | 2573.1025 | 2213.7441 | 2098.0877 | 3103.9806 | 3045.5435 | 2525.7897 | 2442.5122 | 3138.1967 | 3007.7672 | 2643.0504 | 2521.9537 | 3196.1967 | 2792.7672 | 2301.0504 | 2191.9537 | 3256.1967 | 2853.7672 | 2418.0504 | 2311.9537 | 4385.1967 | 3815.7672 | 3221.0504 | 3043.9537 | 3137.0674 | 2957.9393 | 2626.7308 | 2490.3571
Procurement Savings Relative to Scenario 1a |  |  | 679.7826 | 799.1716 |  |  | 576.3995 | 692.0559 |  |  | 578.1909 | 661.4684 |  |  | 495.1463 | 616.243 |  |  | 895.1463 | 1004.243 |  |  | 838.1463 | 944.243 |  |  | 1164.1463 | 1341.243 |  |  | 510.3366 | 646.7103
Procurement Savings Relative to Scenario 1b |  |  | 391.278 | 510.667 |  |  | 359.3584 | 475.0148 |  |  | 519.7538 | 603.0313 |  |  | 364.7168 | 485.8135 |  |  | 491.7168 | 600.8135 |  |  | 435.7168 | 541.8135 |  |  | 594.7168 | 771.8135 |  |  | 331.2085 | 467.5822
Cost Savings from regional coordination ($MM) | Scenario 2 vs. 1a | Scenario 3 vs. 1a
Base assumptions | -679.8058 | -799.0487
High coordination under bilateral markets | -391.2821 | -510.5249
High energy efficiency | -576.3995 | -692.0559
High Out of State Availability | -578.1909 | -661.4684
High flexible loads | -495.1463 | -616.243
Low portfolio diversity | -895.1463 | -1004.243
High rooftop PV | -838.1463 | -944.243
High RPS (55%) | -1164.1463 | -1341.243
Low solar cost | -510.3366 | -646.7103

## Renewable Cost and Performance
Renewable resource cost & performance assumptions in RESOLVE | [14 empty] | Additional Cost & Financial Assumptions
[7 empty] | Base Case |  |  |  | Low Solar Cost Sensitivity
Resource | Geography |  | Capacity Factor (%) | Potential included in RESOLVE (MW) |  |  | Capital Cost (2015 $/kW) |  | LCOE (2015 $/MWh) |  | Capital Cost (2015 $/kW) |  | LCOE (2015 $/MWh) |  | Assumption | Geothermal | Solar* | Wind
|  |  |  | S1 | S2 | S3 | 2015 | 2030 | 2015 | 2030 | 2015 | 2030 | 2015 | 2030 | Interconnection Cost ($/kW) | 156.2953 | 200 | 107.2061
California Geothermal | Imperial |  | 90% | 1384 |  |  | 5142 | 5142 | 76 | 96 | (no change from Base Case) |  |  |  | Fixed O&M ($/kW-yr) | 312.7202 | 30 | 32.7161
| Northern California |  | 80% | 424 |  |  | 3510 | 3510 | 59 | 81 |  |  |  |  | Variable O&M ($/MWh) | 5 | 0 | 0
California Solar PV* | Central Valley & Los Banos |  | 30% | 1000 |  |  | 2174 | 1826 | 58 | 76 | 2174 | 1347 | 58 | 61 | Economic lifetime (years) | 25 | 25 | 20
| Greater Carrizo |  | 33% | 570 |  |  | 2174 | 1826 | 53 | 69 | 2174 | 1347 | 53 | 56 | Debt term (years) | 20 | 20 | 18
| Greater Imperial |  | 31% | 1317 |  |  | 2174 | 1826 | 56 | 73 | 2174 | 1347 | 56 | 59 | Minimum debt service coverage ratio | 1.4 | 1.4 | 1.4
| Kramer & Inyokern |  | 34% | 375 |  |  | 2174 | 1826 | 50 | 66 | 2174 | 1347 | 50 | 53 | Annual degradation (%/yr) | 0% | 0.7% | 0%
| Mountain Pass & El Dorado |  | 34% | - |  |  | 2174 | 1826 | 50 | 65 | 2174 | 1347 | 50 | 52 | After-Tax Weighted Average Cost of Capital (WACC) | 8.4% | 8.4% | 8.3%
| Northern California |  | 29% | 1702 |  |  | 2174 | 1826 | 59 | 78 | 2174 | 1347 | 59 | 63 | *Assumes single axis tracking, inverter loading ratio 1.3. All solar costs are expressed with respect to AC capacity.
| Riverside East & Palm Springs |  | 32% | 2459 |  |  | 2174 | 1826 | 53 | 70 | 2174 | 1347 | 53 | 56
| Solano |  | 29% | 551 |  |  | 2174 | 1826 | 59 | 78 | 2174 | 1347 | 59 | 62
| Southern California Desert |  | 34% | - |  |  | 2174 | 1826 | 51 | 67 | 2174 | 1347 | 51 | 53
| Tehachapi |  | 33% | 2500 |  |  | 2174 | 1826 | 52 | 68 | 2174 | 1347 | 52 | 55
| Westlands |  | 31% | 1450 |  |  | 2174 | 1826 | 55 | 72 | 2174 | 1347 | 55 | 58
OOS Solar PV* | Arizona | Existing Tx | 34% | 500 |  |  | 2001 | 1711 | 45 | 56 | 2001 | 1240 | 45 | 45
|  | RECs** | 34% | 1000 |  |  | 2001 | 1711 | 45 | 56 | 2001 | 1240 | 45 | 45
California Wind | Central Valley & Los Banos |  | 30% | 150 |  |  | 2069 | 2008 | 51 | 76 | (no change from Base Case)
| Greater Carrizo |  | 31% | 500 |  |  | 1914 | 1857 | 49 | 74
| Greater Imperial |  | 35% | 400 |  |  | 2083 | 2022 | 43 | 68
| Riverside East & Palm Springs |  | 33% | 500 |  |  | 2047 | 1987 | 57 | 82
| Solano |  | 27% | 600 |  |  | 1992 | 1933 | 58 | 82
| Tehachapi |  | 35% | 850 |  |  | 2087 | 2025 | 47 | 72
OOS Wind | New Mexico | New Tx 1 | 46% | - | - | 1500 | 1738 | 1687 | 21 | 46
|  | New Tx 2 | 42% | - | - | 1500 | 1738 | 1687 | 26 | 51
|  | Existing Tx | 39% | 1000 | 1000 | 10 | 1738 | 1687 | 30 | 55
| Oregon | Existing Tx | 32% | 1000 |  |  | 1943 | 1885 | 49 | 74
|  | RECs** | 32% | 1000 |  |  | 1943 | 1885 | 49 | 74
| Utah |  | 32% | N/A (not modeled in RESOLVE) |  |  | 1943 | 1885 | 49 | 74
| Wyoming | New Tx 1 | 46% | - | - | 1500 | 1738 | 1687 | 21 | 46
|  | New Tx 2 | 42% | - | - | 1500 | 1738 | 1687 | 26 | 51
|  | Existing Tx | 39% | 500 |  |  | 1738 | 1687 | 30 | 55
OOS = Out-of-State, LCOE = levelized cost of energy. Impacts of declining federal tax credits are included.
* All solar costs and capacities are expressed with respect to AC capacity.; assumed inverter loading ratio is 1.3
** Pricing for RECs is based on the PPA price of a new resource net of its energy value in local markets. This table reflects only the resource's PPA price; the adjustment for energy credit is shown explicitly on 'Statewide Results' tab.

## Storage Inputs
Energy storage performance, resource potential, and financial inputs by technology
Technology | Charging & Discharging Efficiency | Replacement (yr) | Minimum duration (hrs) | Resource Potential (MW) | Financing Lifetime (yr) | Financing Lifetime (yr) | Debt Term (yr) | After-Tax Weighted Average Cost of Capital
Lithium Ion Battery | 92% | 8 | 0 | N/A | 16 | 16 | 10 | 8.2%
Flow Battery | 84% | N/A | 0 | N/A | 20 | 20 | 10 | 8.2%
Pumped Hydro* | 87% | N/A | 12 | 4000 | 40 | 40 | 40 | 7.31%
Note: For Lithium Ion Batteries and Flow Batteries we also assume inverter replacement at year 10.
Energy storage capital and O&M cost assumptions by technology
Technology | Cost Metric | 2015 | 2030
Lithium | Storage Cost ($/kWh) | 375 | 183
Ion Battery | Power Conversion System Cost ($/kW) | 300 | 204
| Fixed O&M Battery/Reservoir ($/kWh-yr) | 7.5 | 3.7
| Fixed O&M PCS ($/kW-yr) | 6 | 4.1
Flow | Storage Cost ($/kWh) | 700 | 315
Battery | Power Conversion System Cost ($/kW) | 300 | 204
| Fixed O&M Battery/Reservoir ($/kWh-yr) | 14 | 6.3
| Fixed O&M PCS ($/kW-yr) | 6 | 4.1
Pumped Hydro | Storage Cost ($/kWh) | 117 | 117
| Power Conversion System Cost ($/kW) | 1400 | 1400
| Fixed O&M Battery/Reservoir ($/kWh-yr) | - | -
| Fixed O&M PCS ($/kW-yr) | 15 | 15
Note: A final adder of 15% is added to the costs in the table to account for engineering, procurement and construction (EPC), and interconnection. Costs are with respect to usable kWh and/or kW.
Energy storage cost estimates in 2015 and 2030 for each technology ($/kW-yr and $/KWh-yr)
Technology | 2015 Annualized Cost Components ($/kW-yr; $/kWh-yr) | 2030 Annualized Cost Components ($/kW-yr; $/kWh-yr)
Lithium Ion Battery | 69; 85 | 46; 40
Flow Battery | 58; 118 | 39; 53
Pumped Hydro | 146; 12 | 146; 12
Note: The first number indicates the annualized cost of the power conversion system ($/kW-yr) of the device and the second number indicates the annualized cost for the energy storage capacity or reservoir ($/kWh-yr). Both numbers are additive. This annualized cost is the full cost of owning and operating the system, including O&M and replacement costs.

## Transmission Cost Inputs
Availability of energy only capacity and cost of transmission upgrades in California zones
Zone | Available Capability (MW) | Incremental Cost ($/kW-yr)
Central Valley & Los Banos | 2000 | 29
Greater Carrizo | 1140 | 114
Greater Imperial | 2633 | 68
Kramer & Inyokern | 750 | 52
Mountain Pass & El Dorado | 2982 | 65
Northern California | 3404 | 95
Riverside East & Palm Springs | 4917 | 85
Solano | 1101 | 13
Southern California Desert | - | 64
Tehachapi | 5000 | 21
Westlands | 2900 | 58
Note: ‘Available Capacity’ represents the limit of a system to accommodate new renewables at no cost; and ‘Incremental Cost’ reflects the cost of new transmission upgrades once the available capacity has been exhausted. It turns out the model does not pick resources beyond the available capability
Transmission cost assumptions for out-of-state resources
Resource |  | Quantity (MW) | Costs ($/kW-year) |  |  | Basis for Assumption
|  |  | Scen. 1 | Scen. 2 | Scen. 3
Southwest Solar PV | Existing Transmission | 500 | 39 | 0 | 0 | Wheeling & losses on APS system
| RECs | 1000 | 39 | 0 | 0 | Wheeling & losses on APS system
New Mexico Wind | Existing Transmission | 1000 | 72 | 0 | 0 | Wheeling & losses on PNM & APS systems
| New Transmission 1 | 1500 | N/A | N/A | 50 | Assumed project capital cost ($567 million for 1,500 MW of new transmission) based on RPS Calculator transmission costs, scaled for distance for delivery to Four Corners
| New Transmission 2 | 1500 | N/A | N/A | 129 | Sum of public SunZia costs ($2 billion for 3,000 MW) and assumed upgrade costs from Pinal Central to Palo Verde based on RPS Calculator
Northwest Wind | Existing Transmission | 1000 | 34 | 0 | 0 | Wheeling & losses on BPA system (system + southern intertie rates)
| RECs | 1000 | 19.6973 | 0 | 0 | Wheeling & losses on BPA system (system + southern intertie rates)
Utah Wind |  | N/A | 34 | 0 | 0 | Not modeled in RESOLVE. Used Northwest wind as a proxy for transmissino costs for the Munis that use Utah Wind
Wyoming Wind | Existing Transmission | 500 | 66 | 0 | 0 | Wheeling & losses on Pacificorp East & NV Energy systems
| New Transmission 1 & 2 | 3000 | N/A | N/A | 88 | Costs of Gateway project reported ($252 million per year for 2,875 MW) reported in Regional Coordination in the West: Benefits of PacifiCorp and California ISO Integration (Technical Appendix)

## Load and DG Inputs
CAISO (modeled in RESOLVE) |  |  |  |  | Non-CAISO entities in California (not modeled in RESOLVE)
Base Case (based on 2015 IEPR, Mid Demand, Mid AAEE) |  |  |  |  | Non-CAISO Demand and DG PV (based on 2015 IEPR, Mid Demand, Mid AAEE)
| 2016 | 2020 | 2025 | 2030 |  | 2016 | 2020 | 2025 | 2030
Managed Sales without DG PV (GWh) | 223083 | 222334 | 226637 | 230426 | Managed Sales without DG PV (GWh) | 49001.3161 | 48907.5689 | 50906.6713 | 58755.8339
DG PV (GWh) | 6706.2679 | 10346.0406 | 17309.8382 | 29045.6528 | DG PV (GWh) | 608.3965 | 900.0647 | 1558.4935 | 2649.8339
DG PV (MW) | 4088.279 | 6084.281 | 10146.1419 | 16649.4896 | DG PV (MW) | 370.891 | 529.3084 | 913.5092 | 1547.8212
Managed Sales (delivered to end user, i.e. retail; GWh) | 216377 | 211988 | 209327 | 201381 | Managed Sales (delivered to end user, i.e. retail; GWh) | 48392.9196 | 48007.5042 | 49348.1778 | 56106
High EE Sensitivity (based on 2015 IEPR, Mid Demand, doubling of AAEE consistent with SB 350)
| 2016 | 2020 | 2025 | 2030
Managed Sales without DG PV (GWh) | 223084.1334 | 220292.9503 | 216428.015 | 215828.8115
DG PV (GWh) | 6706.2679 | 10346.0406 | 17309.8382 | 29045.6528
DG PV (MW) | 4088.279 | 6084.281 | 10146.1419 | 16649.4896
Managed Sales (delivered to end user, i.e. retail; GWh) | 216377.8654 | 209946.9097 | 199118.1768 | 186783.1588
High Rooftop PV Sensitivity (based on 2015 IEPR, Mid Demand, Mid AAEE, with adjusted DG PV based on NEM public tool results)
| 2016 | 2020 | 2025 | 2030
Managed Sales without DG PV (GWh) | 223083 | 222334 | 226637 | 230426
DG PV (GWh) | 6706.2679 | 10346.0406 | 17309.8382 | 36463.1276
DG PV (MW) | 4088.279 | 6084.281 | 10146.1419 | 21000
Managed Sales (delivered to end user, i.e. retail; GWh) | 216377 | 211988 | 209327 | 193962.8724

## Existing 33% Portfolio
CAISO Base Portfolio: Renewables to meet 33% RPS in 2030
Renewable Resources | Installed Capacity (MW) | Annual Energy (GWh)
CAISO Solar | 9890 | 18259
CAISO Wind | 5259 | 15859
CAISO Geothermal | 1117 | 9785
CAISO Small Hydro | 429 | 3754
CAISO Biomass | 794 | 6955
Northwest Wind | 2186 | 6073
Northwest Biomass | 32 | 280
Northwest Geothermal | 1 | 6
Southwest Solar | 197 | 380
Imperial Geothermal | 449 | 3933
Total CAISO Resources | 17489 | 54612
Total Non-CAISO Resources | 2417 | 10672
Total Renewable Resources | 20354 | 65284
Other Resources | Installed Capacity (MW) | Annual Energy (GWh)
Energy Storage | 3157 | -
Behind-the-meter Rooftop PV | 16649 | 29045.6528
Note: This is CAISO only and does not include the non-CAISO entities (munis)