## User guide
Description
The data contains import limits and resulting EIM transfers that incurred following an upward flexible ramping sufficiency test or bid range capacity test failure during October 2021.
Notes
•Data only contains upward results from final test at T-40 (RTBS_3).
•Intervals with known invalid test failures were removed from the data. These can occur because of a market disruption, software defect, or other error.
•Intervals with missing data were removed.
•In some cases the import limit after failing the test (from the greater of the base transfer or last 15-minute interval transfer) is at or beyond the normal limit from the sum of individual EIM transfer system resources. In these cases the import limit imposed after failing the test is not relevant, so these intervals were removed.
Variables
| Market: | 15-mintue market (FMM) or 5-minute market (RTD).
| Date: | Market/test date.
| Hour: | Market/test hour.
| Market interval: | Market interval.
| Test interval | Test interval.
| BAA: | Balancing authority area.
| Direction | Direction (only upward included).
| Sufficiency test status: | Sufficiency test status, pass or fail.
| Capacity test status: | Capacity test status, pass or fail.
| RSE imposed import limit: | Import limit imposed after failing either the flex ramp sufficiency or capacity tests, set by the greater of the base EIM transfer or last 15-minute market transfer. (positive is on import side, negative is on export side).
| Market net EIM import: | 15-minute or 5-minute market net EIM import (positive is a net import, negative is a net export).
| Base net import: | Base (bilateral) net import (positive is a net import, negative is a net export).
| RSE imposed import limit (no base): | Incremental import limit, RSE imposed import limit above base schedules (greater of zero or the last 15-minute market transfer minus base).
| Market net EIM import (no base): | Incremental 15-minute or 5-minute market net EIM import above base schedules (positive is a net import, negative is a net export).
| DISCLAIMER: | With ISO's approval, DMM is releasing this data in response to market participant requests submitted in the ISO's EIM Resource Sufficiency Evaluation Enhancements stakeholder initiative. The ISO does not warrant the accuracy or completeness of this data. This data cannot be republished without obtaining prior written consent of the ISO. CAISO - Public

## October 2021
Market | Date | Hour | Market interval | Test interval | BAA | Direction | Sufficiency test status | Capacity test status | RSE imposed import limit | Market net EIM import | Base (bilateral) net import | RSE imposed import limit (no base) | Market net EIM import (no base)
FMM | 2021-10-04 | 20 | 1 | 1 | BCHA | UP | PASS | FAIL | 59.9432 | -3.7761 | 34.3333 | 25.6098 | -38.1094
FMM | 2021-10-04 | 20 | 2 | 2 | BCHA | UP | PASS | FAIL | 82.25 | 64.6765 | 82.25 | 0 | -17.5735
FMM | 2021-10-04 | 20 | 3 | 3 | BCHA | UP | FAIL | FAIL | 98.5 | 98.5007 | 98.5 | 0 | 0.00070455
FMM | 2021-10-06 | 8 | 3 | 3 | BCHA | UP | PASS | FAIL | 172.8305 | 172.8314 | 123.75 | 49.0805 | 49.0814
FMM | 2021-10-06 | 8 | 4 | 4 | BCHA | UP | PASS | FAIL | 172.8314 | 172.8315 | 150.25 | 22.5814 | 22.5815
FMM | 2021-10-12 | 22 | 1 | 1 | BCHA | UP | PASS | FAIL | -86.1667 | -166.6197 | -86.1667 | 0 | -80.4531
FMM | 2021-10-13 | 6 | 4 | 4 | BCHA | UP | FAIL | FAIL | 67.6776 | 67.6776 | -7.1667 | 74.8443 | 74.8443
FMM | 2021-10-30 | 1 | 1 | 1 | BCHA | UP | FAIL | FAIL | 115.0585 | 94.1534 | -8.8333 | 123.8918 | 102.9867
FMM | 2021-10-30 | 1 | 2 | 2 | BCHA | UP | PASS | FAIL | 94.1534 | 12.1681 | -42 | 136.1534 | 54.1681
FMM | 2021-10-30 | 1 | 3 | 3 | BCHA | UP | PASS | FAIL | 12.1681 | -52.1516 | -52.1667 | 64.3348 | 0.015042
FMM | 2021-10-30 | 1 | 4 | 4 | BCHA | UP | PASS | FAIL | -52.1516 | -57.9849 | -58 | 5.8484 | 0.015136
FMM | 2021-10-30 | 2 | 1 | 1 | BCHA | UP | FAIL | FAIL | -54 | -54.0157 | -54 | 0 | -0.015713
FMM | 2021-10-30 | 2 | 2 | 2 | BCHA | UP | FAIL | FAIL | -54.0157 | -54.0297 | -58 | 3.9843 | 3.9703
FMM | 2021-10-30 | 2 | 3 | 3 | BCHA | UP | FAIL | FAIL | -54.0297 | -54.0438 | -58 | 3.9703 | 3.9562
FMM | 2021-10-30 | 2 | 4 | 4 | BCHA | UP | FAIL | FAIL | -37.8333 | -46.514 | -37.8333 | 0 | -8.6807
FMM | 2021-10-25 | 1 | 1 | 1 | LADWP | UP | PASS | FAIL | 399.9126 | 399.915 | 269.5 | 130.4126 | 130.415
FMM | 2021-10-25 | 1 | 2 | 2 | LADWP | UP | PASS | FAIL | 399.915 | 365.2467 | 270 | 129.915 | 95.2467
FMM | 2021-10-25 | 1 | 3 | 3 | LADWP | UP | PASS | FAIL | 365.2467 | 365.2491 | 270 | 95.2467 | 95.2491
FMM | 2021-10-25 | 1 | 4 | 4 | LADWP | UP | PASS | FAIL | 365.2491 | 364.8105 | 270.6667 | 94.5824 | 94.1438
FMM | 2021-10-25 | 2 | 1 | 1 | LADWP | UP | FAIL | FAIL | 364.8105 | 353.5486 | 273.3333 | 91.4771 | 80.2153
FMM | 2021-10-25 | 2 | 2 | 2 | LADWP | UP | PASS | FAIL | 353.5486 | 330.0716 | 274 | 79.5486 | 56.0716
FMM | 2021-10-25 | 2 | 3 | 3 | LADWP | UP | PASS | FAIL | 330.0716 | 312.4261 | 274 | 56.0716 | 38.4261
FMM | 2021-10-25 | 2 | 4 | 4 | LADWP | UP | PASS | FAIL | 312.4261 | 312.4285 | 274.3333 | 38.0928 | 38.0952
FMM | 2021-10-03 | 8 | 1 | 1 | NEVP | UP | FAIL | PASS | -4.1667 | -4.1643 | -4.1667 | 0 | 0.0023991
FMM | 2021-10-03 | 18 | 4 | 4 | NEVP | UP | FAIL | PASS | 23.3333 | -141.838 | 23.3333 | 0 | -165.1713
FMM | 2021-10-04 | 18 | 1 | 1 | NEVP | UP | PASS | FAIL | -202.6667 | -396.8903 | -202.6667 | 0 | -194.2237
FMM | 2021-10-04 | 18 | 2 | 2 | NEVP | UP | PASS | FAIL | -203 | -274.9454 | -203 | 0 | -71.9454
FMM | 2021-10-04 | 18 | 3 | 3 | NEVP | UP | PASS | FAIL | -203 | -202.9984 | -203 | 0 | 0.0016383
FMM | 2021-10-04 | 18 | 4 | 4 | NEVP | UP | PASS | FAIL | -186.5 | -300.2208 | -186.5 | 0 | -113.7208
FMM | 2021-10-05 | 19 | 3 | 3 | NEVP | UP | PASS | FAIL | -127.1618 | -127.1595 | -130 | 2.8382 | 2.8405
FMM | 2021-10-13 | 9 | 1 | 1 | NEVP | UP | FAIL | PASS | -409.5 | -409.4977 | -409.5 | 0 | 0.0022721
FMM | 2021-10-13 | 9 | 2 | 2 | NEVP | UP | FAIL | PASS | -409.4977 | -409.4955 | -411 | 1.5023 | 1.5045
FMM | 2021-10-14 | 17 | 2 | 2 | NEVP | UP | PASS | FAIL | -78.0994 | -96.9014 | -238 | 159.9006 | 141.0986
FMM | 2021-10-14 | 17 | 3 | 3 | NEVP | UP | PASS | FAIL | -96.9014 | -105.5407 | -238 | 141.0986 | 132.4593
FMM | 2021-10-14 | 17 | 4 | 4 | NEVP | UP | PASS | FAIL | -105.5407 | -105.5407 | -247.3333 | 141.7926 | 141.7926
FMM | 2021-10-20 | 18 | 2 | 2 | NEVP | UP | FAIL | PASS | -12.9053 | -12.9029 | -56 | 43.0947 | 43.0971
FMM | 2021-10-26 | 15 | 1 | 1 | NEVP | UP | FAIL | PASS | -65.5 | -77.6032 | -65.5 | 0 | -12.1032
FMM | 2021-10-26 | 15 | 2 | 2 | NEVP | UP | FAIL | PASS | -49 | -84.9104 | -49 | 0 | -35.9104
FMM | 2021-10-26 | 15 | 3 | 3 | NEVP | UP | FAIL | PASS | -49 | -48.9998 | -49 | 0 | 0.00022033
FMM | 2021-10-04 | 17 | 2 | 2 | NWMT | UP | FAIL | FAIL | 80.9167 | 21.3652 | 80.9167 | 0 | -59.5515
FMM | 2021-10-24 | 19 | 1 | 1 | PACE | UP | PASS | FAIL | 579.6667 | 136.6866 | 579.6667 | 0 | -442.9801
FMM | 2021-10-24 | 19 | 2 | 2 | PACE | UP | PASS | FAIL | 613 | 238.513 | 613 | 0 | -374.487
FMM | 2021-10-24 | 19 | 3 | 3 | PACE | UP | PASS | FAIL | 613 | 412.8847 | 613 | 0 | -200.1153
FMM | 2021-10-24 | 19 | 4 | 4 | PACE | UP | PASS | FAIL | 581.6667 | 486.0041 | 581.6667 | 0 | -95.6626
FMM | 2021-10-04 | 19 | 4 | 4 | PACW | UP | PASS | FAIL | -830.5 | -866.5686 | -830.5 | 0 | -36.0686
FMM | 2021-10-04 | 20 | 2 | 2 | PACW | UP | PASS | FAIL | -782.0758 | -782.0751 | -834 | 51.9242 | 51.9249
FMM | 2021-10-01 | 20 | 1 | 1 | PGE | UP | PASS | FAIL | -126.457 | -126.4569 | -206.1667 | 79.7097 | 79.7097
FMM | 2021-10-01 | 20 | 2 | 2 | PGE | UP | PASS | FAIL | -100.1667 | -100.1665 | -100.1667 | 0 | 0.00013309
FMM | 2021-10-01 | 20 | 3 | 3 | PGE | UP | PASS | FAIL | -100.1665 | -100.1658 | -109.5833 | 9.4168 | 9.4176
FMM | 2021-10-01 | 20 | 4 | 4 | PGE | UP | PASS | FAIL | -100.1658 | -100.1657 | -118.4167 | 18.2509 | 18.2509
FMM | 2021-10-04 | 10 | 1 | 1 | PGE | UP | PASS | FAIL | 332.5 | 245.668 | -52.8333 | 385.3333 | 298.5013
FMM | 2021-10-04 | 10 | 2 | 2 | PGE | UP | PASS | FAIL | 245.668 | 245.668 | -67.8333 | 313.5013 | 313.5013
FMM | 2021-10-04 | 10 | 3 | 3 | PGE | UP | PASS | FAIL | 245.668 | 245.6681 | -67.8333 | 313.5013 | 313.5014
FMM | 2021-10-04 | 10 | 4 | 4 | PGE | UP | PASS | FAIL | 245.6681 | 245.6681 | -68.6667 | 314.3348 | 314.3348
FMM | 2021-10-04 | 21 | 1 | 1 | PGE | UP | PASS | FAIL | -97.1667 | -126.2232 | -97.1667 | 0 | -29.0566
FMM | 2021-10-04 | 21 | 2 | 2 | PGE | UP | PASS | FAIL | -97 | -104.6975 | -97 | 0 | -7.6975
FMM | 2021-10-12 | 8 | 3 | 3 | PGE | UP | PASS | FAIL | -88.9634 | -88.9633 | -97.8333 | 8.87 | 8.8701
FMM | 2021-10-12 | 8 | 4 | 4 | PGE | UP | PASS | FAIL | -88.9633 | -88.9631 | -93.1667 | 4.2034 | 4.2035
FMM | 2021-10-27 | 19 | 3 | 3 | PGE | UP | FAIL | PASS | -84.5932 | -98.4059 | -93 | 8.4068 | -5.4059
FMM | 2021-10-29 | 22 | 1 | 1 | PGE | UP | PASS | FAIL | 234.5196 | 166.0598 | -92 | 326.5196 | 258.0598
FMM | 2021-10-01 | 1 | 1 | 1 | PSEI | UP | PASS | FAIL | 120.5894 | -81.9964 | -11.1667 | 131.7561 | -70.8297
FMM | 2021-10-03 | 18 | 3 | 3 | PSEI | UP | PASS | FAIL | 466.7076 | 415.6802 | 243 | 223.7076 | 172.6802
FMM | 2021-10-03 | 18 | 4 | 4 | PSEI | UP | PASS | FAIL | 415.6802 | 412.1274 | 247.1667 | 168.5136 | 164.9608
FMM | 2021-10-04 | 9 | 2 | 2 | PSEI | UP | PASS | FAIL | 285.6397 | 267.5565 | 93 | 192.6397 | 174.5565
FMM | 2021-10-04 | 9 | 3 | 3 | PSEI | UP | PASS | FAIL | 267.5565 | 266.5857 | 93 | 174.5565 | 173.5857
FMM | 2021-10-04 | 9 | 4 | 4 | PSEI | UP | PASS | FAIL | 266.5857 | 266.5857 | 93 | 173.5857 | 173.5857
FMM | 2021-10-04 | 18 | 4 | 4 | PSEI | UP | PASS | FAIL | 113.8333 | 103.103 | 113.8333 | 0 | -10.7304
FMM | 2021-10-06 | 22 | 1 | 1 | PSEI | UP | PASS | FAIL | 111.8698 | 111.8699 | 93 | 18.8698 | 18.8699
FMM | 2021-10-08 | 12 | 1 | 1 | PSEI | UP | PASS | FAIL | 66.1897 | 53.5391 | 37 | 29.1897 | 16.5391
FMM | 2021-10-08 | 12 | 2 | 2 | PSEI | UP | PASS | FAIL | 53.5391 | 53.5393 | 41 | 12.5391 | 12.5393
FMM | 2021-10-08 | 12 | 3 | 3 | PSEI | UP | PASS | FAIL | 53.5393 | 53.5394 | 41 | 12.5393 | 12.5394
FMM | 2021-10-08 | 12 | 4 | 4 | PSEI | UP | PASS | FAIL | 53.5394 | 53.5395 | 41 | 12.5394 | 12.5395
FMM | 2021-10-08 | 21 | 1 | 1 | PSEI | UP | PASS | FAIL | 67.9225 | 67.9226 | 41.8333 | 26.0891 | 26.0892
FMM | 2021-10-08 | 21 | 2 | 2 | PSEI | UP | PASS | FAIL | 67.9226 | 67.9226 | 42 | 25.9226 | 25.9226
FMM | 2021-10-11 | 24 | 1 | 1 | PSEI | UP | PASS | FAIL | -9 | -8.9999 | -9 | 0 | 5.7032e-05
FMM | 2021-10-12 | 9 | 1 | 1 | PSEI | UP | PASS | FAIL | 141 | 121.5884 | 141 | 0 | -19.4116
FMM | 2021-10-12 | 22 | 1 | 1 | PSEI | UP | PASS | FAIL | 141 | 42.1334 | 141 | 0 | -98.8666
FMM | 2021-10-19 | 9 | 1 | 1 | PSEI | UP | PASS | FAIL | 366 | 307.1907 | 366 | 0 | -58.8093
FMM | 2021-10-19 | 9 | 2 | 2 | PSEI | UP | PASS | FAIL | 366 | 352.9158 | 366 | 0 | -13.0842
FMM | 2021-10-20 | 9 | 1 | 1 | PSEI | UP | PASS | FAIL | 248.2572 | 91.0001 | 91 | 157.2572 | 8.4268e-05
FMM | 2021-10-20 | 9 | 2 | 2 | PSEI | UP | PASS | FAIL | 91.0001 | 80.8239 | 91 | 8.4268e-05 | -10.1761
FMM | 2021-10-20 | 9 | 3 | 3 | PSEI | UP | PASS | FAIL | 91 | 9.3588 | 91 | 0 | -81.6412
FMM | 2021-10-20 | 9 | 4 | 4 | PSEI | UP | PASS | FAIL | 91 | 78.3627 | 91 | 0 | -12.6373
FMM | 2021-10-21 | 20 | 1 | 1 | PSEI | UP | PASS | FAIL | 138.5232 | 7.4936 | 42 | 96.5232 | -34.5064
FMM | 2021-10-21 | 20 | 2 | 2 | PSEI | UP | PASS | FAIL | 42 | -45.8925 | 42 | 0 | -87.8925
FMM | 2021-10-26 | 23 | 1 | 1 | PSEI | UP | PASS | FAIL | 54.1139 | 6.4281 | -90.6667 | 144.7805 | 97.0947
FMM | 2021-10-30 | 22 | 1 | 1 | PSEI | UP | PASS | FAIL | 252.7599 | 252.7622 | 73 | 179.7599 | 179.7622
FMM | 2021-10-30 | 22 | 2 | 2 | PSEI | UP | PASS | FAIL | 252.7622 | 252.7622 | 73 | 179.7622 | 179.7622
FMM | 2021-10-30 | 23 | 1 | 1 | PSEI | UP | PASS | FAIL | 324.8047 | 324.8048 | 67.1667 | 257.638 | 257.6381
FMM | 2021-10-28 | 17 | 1 | 1 | SCL | UP | PASS | FAIL | 140.6893 | 78.6523 | -25 | 165.6893 | 103.6523
FMM | 2021-10-28 | 17 | 2 | 2 | SCL | UP | PASS | FAIL | 78.6523 | 72.4152 | -25 | 103.6523 | 97.4152
FMM | 2021-10-28 | 17 | 3 | 3 | SCL | UP | PASS | FAIL | 72.4152 | -35.4314 | -25 | 97.4152 | -10.4314
FMM | 2021-10-28 | 17 | 4 | 4 | SCL | UP | PASS | FAIL | -25 | -56.7096 | -25 | 0 | -31.7096
FMM | 2021-10-03 | 19 | 1 | 1 | SRP | UP | PASS | FAIL | 1482 | 1401.2295 | 1482 | 0 | -80.7705
FMM | 2021-10-03 | 19 | 2 | 2 | SRP | UP | PASS | FAIL | 1468 | 1465.5771 | 1468 | 0 | -2.4229
FMM | 2021-10-24 | 19 | 2 | 2 | SRP | UP | FAIL | PASS | 1392.3312 | 1369.81 | 1045 | 347.3312 | 324.81
FMM | 2021-10-29 | 19 | 1 | 1 | SRP | UP | FAIL | PASS | 814.3333 | 812.9318 | 814.3333 | 0 | -1.4015
FMM | 2021-10-31 | 19 | 1 | 1 | SRP | UP | FAIL | FAIL | 1133.2837 | 1026.985 | 815.3333 | 317.9504 | 211.6516
FMM | 2021-10-31 | 19 | 2 | 2 | SRP | UP | FAIL | PASS | 1026.985 | 1026.9856 | 820 | 206.985 | 206.9856
FMM | 2021-10-31 | 19 | 3 | 3 | SRP | UP | FAIL | PASS | 1026.9856 | 1026.9862 | 820 | 206.9856 | 206.9862
FMM | 2021-10-04 | 20 | 1 | 1 | TIDC | UP | FAIL | PASS | 151.651 | 151.6357 | 123.3333 | 28.3177 | 28.3024
FMM | 2021-10-17 | 24 | 1 | 1 | TIDC | UP | PASS | FAIL | 224.3561 | 216.9763 | 150 | 74.3561 | 66.9763
FMM | 2021-10-17 | 24 | 2 | 2 | TIDC | UP | PASS | FAIL | 216.9763 | 216.9763 | 157 | 59.9763 | 59.9763
FMM | 2021-10-17 | 24 | 3 | 3 | TIDC | UP | PASS | FAIL | 216.9763 | 216.9763 | 157 | 59.9763 | 59.9763
FMM | 2021-10-17 | 24 | 4 | 4 | TIDC | UP | PASS | FAIL | 216.9763 | 216.9763 | 154.3333 | 62.643 | 62.643
FMM | 2021-10-18 | 2 | 1 | 1 | TIDC | UP | PASS | FAIL | 182.7199 | 182.7199 | 142 | 40.7199 | 40.7199
FMM | 2021-10-18 | 2 | 2 | 2 | TIDC | UP | PASS | FAIL | 182.7199 | 181.8124 | 142 | 40.7199 | 39.8124
FMM | 2021-10-18 | 2 | 3 | 3 | TIDC | UP | PASS | FAIL | 181.8124 | 180.5017 | 142 | 39.8124 | 38.5017
FMM | 2021-10-18 | 2 | 4 | 4 | TIDC | UP | PASS | FAIL | 180.5017 | 180.5017 | 142 | 38.5017 | 38.5017
FMM | 2021-10-18 | 7 | 4 | 4 | TIDC | UP | PASS | FAIL | 169 | 163.001 | 169 | 0 | -5.999
FMM | 2021-10-18 | 9 | 3 | 3 | TIDC | UP | PASS | FAIL | 196.8315 | 196.8315 | 134 | 62.8315 | 62.8315
FMM | 2021-10-18 | 9 | 4 | 4 | TIDC | UP | PASS | FAIL | 196.8315 | 139.3339 | 139.3333 | 57.4982 | 0.00058786
FMM | 2021-10-18 | 10 | 1 | 1 | TIDC | UP | PASS | FAIL | 159.6667 | 146.7522 | 159.6667 | 0 | -12.9145
FMM | 2021-10-18 | 10 | 2 | 2 | TIDC | UP | PASS | FAIL | 165 | 144.2391 | 165 | 0 | -20.7609
FMM | 2021-10-18 | 10 | 3 | 3 | TIDC | UP | PASS | FAIL | 165 | 145.1056 | 165 | 0 | -19.8944
FMM | 2021-10-18 | 10 | 4 | 4 | TIDC | UP | PASS | FAIL | 161.3333 | 131.5042 | 161.3333 | 0 | -29.8291
FMM | 2021-10-18 | 13 | 1 | 1 | TIDC | UP | PASS | FAIL | 135.6667 | 125.725 | 135.6667 | 0 | -9.9416
FMM | 2021-10-18 | 13 | 2 | 2 | TIDC | UP | PASS | FAIL | 134 | 134 | 134 | 0 | 1.0191e-05
FMM | 2021-10-18 | 13 | 3 | 3 | TIDC | UP | PASS | FAIL | 134 | 104.7107 | 134 | 1.0191e-05 | -29.2893
FMM | 2021-10-18 | 13 | 4 | 4 | TIDC | UP | PASS | FAIL | 133 | 94.9708 | 133 | 0 | -38.0292
FMM | 2021-10-18 | 18 | 1 | 1 | TIDC | UP | PASS | FAIL | 136 | 136.0001 | 136 | 0 | 6.8631e-05
FMM | 2021-10-18 | 18 | 2 | 2 | TIDC | UP | PASS | FAIL | 139 | 139 | 139 | 0 | 3.5291e-05
FMM | 2021-10-18 | 18 | 3 | 3 | TIDC | UP | PASS | FAIL | 139 | 128.001 | 139 | 3.5291e-05 | -10.999
FMM | 2021-10-18 | 18 | 4 | 4 | TIDC | UP | PASS | FAIL | 140 | 97.8805 | 140 | 0 | -42.1195
FMM | 2021-10-18 | 20 | 1 | 1 | TIDC | UP | PASS | FAIL | 152.3333 | 118.056 | 152.3333 | 0 | -34.2774
FMM | 2021-10-18 | 20 | 2 | 2 | TIDC | UP | PASS | FAIL | 154 | 120.8757 | 154 | 0 | -33.1243
FMM | 2021-10-18 | 20 | 3 | 3 | TIDC | UP | PASS | FAIL | 154 | 118.975 | 154 | 0 | -35.025
FMM | 2021-10-18 | 20 | 4 | 4 | TIDC | UP | PASS | FAIL | 151.3333 | 113.4454 | 151.3333 | 0 | -37.8879
FMM | 2021-10-25 | 5 | 1 | 1 | TIDC | UP | FAIL | PASS | 149.6741 | 133.2052 | 72 | 77.6741 | 61.2052
FMM | 2021-10-25 | 5 | 2 | 2 | TIDC | UP | FAIL | PASS | 133.2052 | 42.2038 | 71 | 62.2052 | -28.7962
FMM | 2021-10-25 | 5 | 3 | 3 | TIDC | UP | FAIL | PASS | 71 | -17.538 | 71 | 0 | -88.538
FMM | 2021-10-25 | 5 | 4 | 4 | TIDC | UP | FAIL | PASS | 234 | -17.826 | 234 | 0 | -251.826
FMM | 2021-10-25 | 8 | 1 | 1 | TIDC | UP | PASS | FAIL | 128.3333 | 124.8126 | 128.3333 | 0 | -3.5207
FMM | 2021-10-25 | 8 | 2 | 2 | TIDC | UP | PASS | FAIL | 138 | 130.3472 | 138 | 0 | -7.6528
FMM | 2021-10-25 | 8 | 3 | 3 | TIDC | UP | PASS | FAIL | 138 | 128.4674 | 138 | 0 | -9.5326
FMM | 2021-10-25 | 8 | 4 | 4 | TIDC | UP | PASS | FAIL | 136.6667 | 135.6677 | 136.6667 | 0 | -0.99899
FMM | 2021-10-25 | 9 | 2 | 2 | TIDC | UP | PASS | FAIL | 130 | 118.5609 | 130 | 0 | -11.4391
FMM | 2021-10-25 | 9 | 3 | 3 | TIDC | UP | PASS | FAIL | 130 | 130 | 130 | 0 | 7.144e-06
FMM | 2021-10-25 | 9 | 4 | 4 | TIDC | UP | PASS | FAIL | 130 | 128.3342 | 127.3333 | 2.6667 | 1.0009
FMM | 2021-10-25 | 10 | 1 | 1 | TIDC | UP | PASS | FAIL | 128.3342 | 111.8433 | 116.6667 | 11.6675 | -4.8234
FMM | 2021-10-25 | 10 | 2 | 2 | TIDC | UP | PASS | FAIL | 114 | 102.8972 | 114 | 0 | -11.1028
FMM | 2021-10-25 | 10 | 3 | 3 | TIDC | UP | PASS | FAIL | 114 | 107.9778 | 114 | 0 | -6.0222
FMM | 2021-10-25 | 10 | 4 | 4 | TIDC | UP | PASS | FAIL | 113 | 5.6254 | 113 | 0 | -107.3746
FMM | 2021-10-25 | 12 | 1 | 1 | TIDC | UP | PASS | FAIL | 192.9004 | 172.4871 | 109.6667 | 83.2337 | 62.8204
FMM | 2021-10-25 | 12 | 2 | 2 | TIDC | UP | PASS | FAIL | 172.4871 | 172.4871 | 110 | 62.4871 | 62.4871
FMM | 2021-10-25 | 12 | 3 | 3 | TIDC | UP | PASS | FAIL | 172.4871 | 172.4871 | 110 | 62.4871 | 62.4871
FMM | 2021-10-25 | 12 | 4 | 4 | TIDC | UP | PASS | FAIL | 172.4871 | 165.3224 | 110 | 62.4871 | 55.3224
FMM | 2021-10-25 | 13 | 1 | 1 | TIDC | UP | PASS | FAIL | 165.3224 | 157.4776 | 110 | 55.3224 | 47.4776
FMM | 2021-10-25 | 13 | 2 | 2 | TIDC | UP | PASS | FAIL | 157.4776 | 143.9174 | 110 | 47.4776 | 33.9174
FMM | 2021-10-25 | 13 | 3 | 3 | TIDC | UP | PASS | FAIL | 143.9174 | 123.2637 | 110 | 33.9174 | 13.2637
FMM | 2021-10-25 | 13 | 4 | 4 | TIDC | UP | PASS | FAIL | 123.2637 | 122.8705 | 111.3333 | 11.9304 | 11.5372
RTD | 2021-10-04 | 20 | 1 | 1 | BCHA | UP | PASS | FAIL | 59.9432 | 59.9432 | -9 | 68.9432 | 68.9432
RTD | 2021-10-04 | 20 | 2 | 1 | BCHA | UP | PASS | FAIL | 59.9432 | 43.375 | -9 | 68.9432 | 52.375
RTD | 2021-10-04 | 20 | 3 | 1 | BCHA | UP | PASS | FAIL | 59.9432 | 23.2282 | -9 | 68.9432 | 32.2282
RTD | 2021-10-04 | 20 | 7 | 3 | BCHA | UP | FAIL | FAIL | 64.6765 | 53.3621 | -9 | 73.6765 | 62.3621
RTD | 2021-10-04 | 20 | 8 | 3 | BCHA | UP | FAIL | FAIL | 64.6765 | 64.6765 | -9 | 73.6765 | 73.6765
RTD | 2021-10-04 | 20 | 9 | 3 | BCHA | UP | FAIL | FAIL | 64.6765 | 64.6765 | -9 | 73.6765 | 73.6765
RTD | 2021-10-06 | 8 | 7 | 3 | BCHA | UP | PASS | FAIL | 172.8305 | 172.8305 | -25 | 197.8305 | 197.8305
RTD | 2021-10-06 | 8 | 8 | 3 | BCHA | UP | PASS | FAIL | 172.8305 | 172.8305 | -25 | 197.8305 | 197.8305
RTD | 2021-10-06 | 8 | 9 | 3 | BCHA | UP | PASS | FAIL | 172.8305 | 172.8305 | -25 | 197.8305 | 197.8305
RTD | 2021-10-06 | 8 | 10 | 4 | BCHA | UP | PASS | FAIL | 172.8314 | 172.8315 | -25 | 197.8314 | 197.8315
RTD | 2021-10-06 | 8 | 11 | 4 | BCHA | UP | PASS | FAIL | 172.8314 | 172.8314 | -25 | 197.8314 | 197.8314
RTD | 2021-10-06 | 8 | 12 | 4 | BCHA | UP | PASS | FAIL | 172.8314 | 172.8314 | -25 | 197.8314 | 197.8314
RTD | 2021-10-12 | 22 | 1 | 1 | BCHA | UP | PASS | FAIL | -127.8481 | -197.6933 | -150 | 22.1519 | -47.6933
RTD | 2021-10-12 | 22 | 2 | 1 | BCHA | UP | PASS | FAIL | -127.8481 | -169.5549 | -150 | 22.1519 | -19.5549
RTD | 2021-10-12 | 22 | 3 | 1 | BCHA | UP | PASS | FAIL | -127.8481 | -127.8481 | -150 | 22.1519 | 22.1519
RTD | 2021-10-13 | 6 | 10 | 4 | BCHA | UP | FAIL | FAIL | 67.6776 | 67.6777 | 0 | 67.6776 | 67.6777
RTD | 2021-10-13 | 6 | 11 | 4 | BCHA | UP | FAIL | FAIL | 67.6776 | 67.6777 | -30 | 97.6776 | 97.6777
RTD | 2021-10-30 | 1 | 1 | 1 | BCHA | UP | FAIL | FAIL | 115.0585 | 115.059 | -36 | 151.0585 | 151.059
RTD | 2021-10-30 | 1 | 2 | 1 | BCHA | UP | FAIL | FAIL | 115.0585 | 99.7373 | -51 | 166.0585 | 150.7373
RTD | 2021-10-30 | 1 | 3 | 1 | BCHA | UP | FAIL | FAIL | 115.0585 | 78.6677 | -58 | 173.0585 | 136.6677
RTD | 2021-10-30 | 1 | 4 | 2 | BCHA | UP | PASS | FAIL | 94.1534 | 67.0945 | -58 | 152.1534 | 125.0945
RTD | 2021-10-30 | 1 | 5 | 2 | BCHA | UP | PASS | FAIL | 94.1534 | -11.9593 | -58 | 152.1534 | 46.0407
RTD | 2021-10-30 | 1 | 6 | 2 | BCHA | UP | PASS | FAIL | 94.1534 | -18.4161 | -58 | 152.1534 | 39.5839
RTD | 2021-10-30 | 1 | 7 | 3 | BCHA | UP | PASS | FAIL | 12.1681 | -56.2263 | -58 | 70.1681 | 1.7737
RTD | 2021-10-30 | 1 | 8 | 3 | BCHA | UP | PASS | FAIL | 12.1681 | -57.7976 | -58 | 70.1681 | 0.20242
RTD | 2021-10-30 | 1 | 9 | 3 | BCHA | UP | PASS | FAIL | 12.1681 | -57.985 | -58 | 70.1681 | 0.01505
RTD | 2021-10-30 | 1 | 10 | 4 | BCHA | UP | PASS | FAIL | -52.1516 | -57.9849 | -58 | 5.8484 | 0.015052
RTD | 2021-10-30 | 1 | 11 | 4 | BCHA | UP | PASS | FAIL | -52.1516 | -57.985 | -58 | 5.8484 | 0.015022
RTD | 2021-10-30 | 1 | 12 | 4 | BCHA | UP | PASS | FAIL | -52.1516 | -28.5602 | -58 | 5.8484 | 29.4398
RTD | 2021-10-30 | 2 | 1 | 1 | BCHA | UP | FAIL | FAIL | -57.9849 | -5.593 | -58 | 0.015136 | 52.407
RTD | 2021-10-30 | 2 | 2 | 1 | BCHA | UP | FAIL | FAIL | -57.9849 | 3.2444 | -58 | 0.015136 | 61.2444
RTD | 2021-10-30 | 2 | 3 | 1 | BCHA | UP | FAIL | FAIL | -57.9849 | -57.9999 | -58 | 0.015136 | 7.3201e-05
RTD | 2021-10-30 | 2 | 4 | 2 | BCHA | UP | FAIL | FAIL | -54.0157 | -54.0298 | -58 | 3.9843 | 3.9702
RTD | 2021-10-30 | 2 | 5 | 2 | BCHA | UP | FAIL | FAIL | -54.0157 | -54.0298 | -58 | 3.9843 | 3.9702
RTD | 2021-10-30 | 2 | 6 | 2 | BCHA | UP | FAIL | FAIL | -54.0157 | -54.0298 | -58 | 3.9843 | 3.9702
RTD | 2021-10-30 | 2 | 7 | 3 | BCHA | UP | FAIL | FAIL | -54.0297 | -54.0438 | -58 | 3.9703 | 3.9562
RTD | 2021-10-30 | 2 | 8 | 3 | BCHA | UP | FAIL | FAIL | -54.0297 | -54.0438 | -58 | 3.9703 | 3.9562
RTD | 2021-10-30 | 2 | 9 | 3 | BCHA | UP | FAIL | FAIL | -54.0297 | -54.0438 | -58 | 3.9703 | 3.9562
RTD | 2021-10-30 | 2 | 10 | 4 | BCHA | UP | FAIL | FAIL | -54.0438 | 1.2178 | -58 | 3.9562 | 59.2178
RTD | 2021-10-30 | 2 | 11 | 4 | BCHA | UP | FAIL | FAIL | -54.0438 | -1.2594 | -58 | 3.9562 | 56.7406
RTD | 2021-10-25 | 1 | 1 | 1 | LADWP | UP | PASS | FAIL | 399.9126 | 399.9134 | 268.875 | 131.0376 | 131.0384
RTD | 2021-10-25 | 1 | 2 | 1 | LADWP | UP | PASS | FAIL | 399.9126 | 382.9943 | 269.625 | 130.2876 | 113.3693
RTD | 2021-10-25 | 1 | 3 | 1 | LADWP | UP | PASS | FAIL | 399.9126 | 399.9134 | 270 | 129.9126 | 129.9134
RTD | 2021-10-25 | 1 | 4 | 2 | LADWP | UP | PASS | FAIL | 399.915 | 399.9158 | 270 | 129.915 | 129.9158
RTD | 2021-10-25 | 1 | 5 | 2 | LADWP | UP | PASS | FAIL | 399.915 | 399.9158 | 270 | 129.915 | 129.9158
RTD | 2021-10-25 | 1 | 6 | 2 | LADWP | UP | PASS | FAIL | 399.915 | 399.9158 | 270 | 129.915 | 129.9158
RTD | 2021-10-25 | 1 | 7 | 3 | LADWP | UP | PASS | FAIL | 365.2467 | 365.2475 | 270 | 95.2467 | 95.2475
RTD | 2021-10-25 | 1 | 8 | 3 | LADWP | UP | PASS | FAIL | 365.2467 | 365.2475 | 270 | 95.2467 | 95.2475
RTD | 2021-10-25 | 1 | 9 | 3 | LADWP | UP | PASS | FAIL | 365.2467 | 365.2475 | 270 | 95.2467 | 95.2475
RTD | 2021-10-25 | 1 | 10 | 4 | LADWP | UP | PASS | FAIL | 365.2491 | 365.2499 | 270 | 95.2491 | 95.2499
RTD | 2021-10-25 | 1 | 11 | 4 | LADWP | UP | PASS | FAIL | 365.2491 | 365.2499 | 270.5 | 94.7491 | 94.7499
RTD | 2021-10-25 | 1 | 12 | 4 | LADWP | UP | PASS | FAIL | 365.2491 | 365.2499 | 271.5 | 93.7491 | 93.7499
RTD | 2021-10-25 | 2 | 1 | 1 | LADWP | UP | FAIL | FAIL | 364.8105 | 364.8112 | 272.5 | 92.3105 | 92.3112
RTD | 2021-10-25 | 2 | 2 | 1 | LADWP | UP | FAIL | FAIL | 364.8105 | 364.8112 | 273.5 | 91.3105 | 91.3112
RTD | 2021-10-25 | 2 | 3 | 1 | LADWP | UP | FAIL | FAIL | 364.8105 | 364.8112 | 274 | 90.8105 | 90.8112
RTD | 2021-10-25 | 2 | 4 | 2 | LADWP | UP | PASS | FAIL | 353.5486 | 353.5494 | 274 | 79.5486 | 79.5494
RTD | 2021-10-25 | 2 | 5 | 2 | LADWP | UP | PASS | FAIL | 353.5486 | 353.5494 | 274 | 79.5486 | 79.5494
RTD | 2021-10-25 | 2 | 6 | 2 | LADWP | UP | PASS | FAIL | 353.5486 | 353.5494 | 274 | 79.5486 | 79.5494
RTD | 2021-10-25 | 2 | 7 | 3 | LADWP | UP | PASS | FAIL | 330.0716 | 330.0724 | 274 | 56.0716 | 56.0724
RTD | 2021-10-25 | 2 | 8 | 3 | LADWP | UP | PASS | FAIL | 330.0716 | 330.0724 | 274 | 56.0716 | 56.0724
RTD | 2021-10-25 | 2 | 9 | 3 | LADWP | UP | PASS | FAIL | 330.0716 | 330.0724 | 274 | 56.0716 | 56.0724
RTD | 2021-10-25 | 2 | 10 | 4 | LADWP | UP | PASS | FAIL | 312.4261 | 312.4269 | 274 | 38.4261 | 38.4269
RTD | 2021-10-25 | 2 | 11 | 4 | LADWP | UP | PASS | FAIL | 312.4261 | 312.4269 | 274.25 | 38.1761 | 38.1769
RTD | 2021-10-25 | 2 | 12 | 4 | LADWP | UP | PASS | FAIL | 312.4261 | 312.4269 | 274.75 | 37.6761 | 37.6769
RTD | 2021-10-03 | 8 | 1 | 1 | NEVP | UP | FAIL | PASS | -8.75 | -185.5069 | -8.75 | 0 | -176.7569
RTD | 2021-10-03 | 8 | 2 | 1 | NEVP | UP | FAIL | PASS | -8.25 | -117.4057 | -8.25 | 0 | -109.1557
RTD | 2021-10-03 | 8 | 3 | 1 | NEVP | UP | FAIL | PASS | -8 | -13.929 | -8 | 0 | -5.929
RTD | 2021-10-03 | 18 | 10 | 4 | NEVP | UP | FAIL | PASS | 23 | 22.9848 | 23 | 0 | -0.015197
RTD | 2021-10-03 | 18 | 11 | 4 | NEVP | UP | FAIL | PASS | 23.25 | 23.2349 | 23.25 | 0 | -0.015137
RTD | 2021-10-03 | 18 | 12 | 4 | NEVP | UP | FAIL | PASS | 23.75 | 23.7507 | 23.75 | 0 | 0.00071144
RTD | 2021-10-04 | 18 | 1 | 1 | NEVP | UP | PASS | FAIL | -202.25 | -202.2493 | -202.25 | 0 | 0.00073167
RTD | 2021-10-04 | 18 | 2 | 1 | NEVP | UP | PASS | FAIL | -202.75 | -202.7493 | -202.75 | 0 | 0.00073794
RTD | 2021-10-04 | 18 | 3 | 1 | NEVP | UP | PASS | FAIL | -203 | -202.9993 | -203 | 0 | 0.00073242
RTD | 2021-10-04 | 18 | 4 | 2 | NEVP | UP | PASS | FAIL | -203 | -257.0634 | -203 | 0 | -54.0634
RTD | 2021-10-04 | 18 | 5 | 2 | NEVP | UP | PASS | FAIL | -203 | -203.0153 | -203 | 0 | -0.015267
RTD | 2021-10-04 | 18 | 6 | 2 | NEVP | UP | PASS | FAIL | -203 | -357.7094 | -203 | 0 | -154.7094
RTD | 2021-10-04 | 18 | 7 | 3 | NEVP | UP | PASS | FAIL | -203 | -453.676 | -203 | 0 | -250.676
RTD | 2021-10-04 | 18 | 8 | 3 | NEVP | UP | PASS | FAIL | -203 | -533.9343 | -203 | 0 | -330.9343
RTD | 2021-10-04 | 18 | 9 | 3 | NEVP | UP | PASS | FAIL | -203 | -396.6642 | -203 | 0 | -193.6642
RTD | 2021-10-04 | 18 | 10 | 4 | NEVP | UP | PASS | FAIL | -202.9984 | -463.7653 | -203 | 0.0016383 | -260.7653
RTD | 2021-10-04 | 18 | 11 | 4 | NEVP | UP | PASS | FAIL | -190.625 | -488.7653 | -190.625 | 0 | -298.1403
RTD | 2021-10-04 | 18 | 12 | 4 | NEVP | UP | PASS | FAIL | -165.875 | -629.4281 | -165.875 | 0 | -463.5531
RTD | 2021-10-05 | 19 | 7 | 3 | NEVP | UP | PASS | FAIL | -127.1618 | -127.1618 | -130 | 2.8382 | 2.8382
RTD | 2021-10-05 | 19 | 8 | 3 | NEVP | UP | PASS | FAIL | -127.1618 | -171.7345 | -130 | 2.8382 | -41.7345
RTD | 2021-10-05 | 19 | 9 | 3 | NEVP | UP | PASS | FAIL | -127.1618 | -163.365 | -130 | 2.8382 | -33.365
RTD | 2021-10-13 | 9 | 1 | 1 | NEVP | UP | FAIL | PASS | -408.75 | -473.8776 | -408.75 | 0 | -65.1276
RTD | 2021-10-13 | 9 | 2 | 1 | NEVP | UP | FAIL | PASS | -410.5 | -452.3461 | -410.5 | 0 | -41.8461
RTD | 2021-10-13 | 9 | 3 | 1 | NEVP | UP | FAIL | PASS | -409 | -496.8604 | -409 | 0 | -87.8604
RTD | 2021-10-13 | 9 | 4 | 2 | NEVP | UP | FAIL | PASS | -409 | -409 | -409 | 0 | 1.2235e-06
RTD | 2021-10-13 | 9 | 5 | 2 | NEVP | UP | FAIL | PASS | -409 | -409 | -409 | 0 | 1.8217e-06
RTD | 2021-10-13 | 9 | 6 | 2 | NEVP | UP | FAIL | PASS | -409 | -408.9992 | -409 | 0 | 0.00076061
RTD | 2021-10-14 | 17 | 4 | 2 | NEVP | UP | PASS | FAIL | -78.0994 | -78.0994 | -238 | 159.9006 | 159.9006
RTD | 2021-10-14 | 17 | 5 | 2 | NEVP | UP | PASS | FAIL | -78.0994 | -78.0994 | -238 | 159.9006 | 159.9006
RTD | 2021-10-14 | 17 | 6 | 2 | NEVP | UP | PASS | FAIL | -78.0994 | -78.0986 | -238 | 159.9006 | 159.9014
RTD | 2021-10-14 | 17 | 7 | 3 | NEVP | UP | PASS | FAIL | -96.9014 | -96.9007 | -238 | 141.0986 | 141.0993
RTD | 2021-10-14 | 17 | 8 | 3 | NEVP | UP | PASS | FAIL | -96.9014 | -96.9006 | -238 | 141.0986 | 141.0994
RTD | 2021-10-14 | 17 | 9 | 3 | NEVP | UP | PASS | FAIL | -96.9014 | -96.9006 | -238 | 141.0986 | 141.0994
RTD | 2021-10-14 | 17 | 10 | 4 | NEVP | UP | PASS | FAIL | -105.5407 | -105.5399 | -238 | 132.4593 | 132.4601
RTD | 2021-10-14 | 17 | 11 | 4 | NEVP | UP | PASS | FAIL | -105.5407 | -105.5399 | -245 | 139.4593 | 139.4601
RTD | 2021-10-14 | 17 | 12 | 4 | NEVP | UP | PASS | FAIL | -105.5407 | -105.5399 | -259 | 153.4593 | 153.4601
RTD | 2021-10-20 | 18 | 4 | 2 | NEVP | UP | FAIL | PASS | -12.9053 | -12.9045 | -56 | 43.0947 | 43.0955
RTD | 2021-10-20 | 18 | 5 | 2 | NEVP | UP | FAIL | PASS | -12.9053 | -12.9045 | -56 | 43.0947 | 43.0955
RTD | 2021-10-20 | 18 | 6 | 2 | NEVP | UP | FAIL | PASS | -12.9053 | -12.9045 | -56 | 43.0947 | 43.0955
RTD | 2021-10-26 | 15 | 1 | 1 | NEVP | UP | FAIL | PASS | -86.125 | -201.2249 | -86.125 | 0 | -115.0999
RTD | 2021-10-26 | 15 | 2 | 1 | NEVP | UP | FAIL | PASS | -61.375 | -181.5771 | -61.375 | 0 | -120.2021
RTD | 2021-10-26 | 15 | 3 | 1 | NEVP | UP | FAIL | PASS | -49 | -187.3983 | -49 | 0 | -138.3983
RTD | 2021-10-26 | 15 | 4 | 2 | NEVP | UP | FAIL | PASS | -49 | -161.845 | -49 | 0 | -112.845
RTD | 2021-10-26 | 15 | 5 | 2 | NEVP | UP | FAIL | PASS | -49 | -147.2575 | -49 | 0 | -98.2575
RTD | 2021-10-26 | 15 | 6 | 2 | NEVP | UP | FAIL | PASS | -49 | -112.6017 | -49 | 0 | -63.6017
RTD | 2021-10-26 | 15 | 7 | 3 | NEVP | UP | FAIL | PASS | -49 | -86.6571 | -49 | 0 | -37.6571
RTD | 2021-10-26 | 15 | 8 | 3 | NEVP | UP | FAIL | PASS | -49 | -148.0137 | -49 | 0 | -99.0137
RTD | 2021-10-26 | 15 | 9 | 3 | NEVP | UP | FAIL | PASS | -49 | -89.0648 | -49 | 0 | -40.0648
RTD | 2021-10-04 | 17 | 2 | 1 | NWMT | UP | FAIL | PASS | 63.125 | 14.8996 | 63.125 | 0 | -48.2254
RTD | 2021-10-24 | 19 | 1 | 1 | PACE | UP | PASS | FAIL | 584.625 | 537.804 | 584.625 | 0 | -46.821
RTD | 2021-10-24 | 19 | 2 | 1 | PACE | UP | PASS | FAIL | 603.875 | 491.8004 | 603.875 | 0 | -112.0746
RTD | 2021-10-24 | 19 | 3 | 1 | PACE | UP | PASS | FAIL | 613 | 525.1323 | 613 | 0 | -87.8677
RTD | 2021-10-24 | 19 | 4 | 2 | PACE | UP | PASS | FAIL | 613 | 504.4552 | 613 | 0 | -108.5448
RTD | 2021-10-24 | 19 | 5 | 2 | PACE | UP | PASS | FAIL | 613 | 399.5663 | 613 | 0 | -213.4337
RTD | 2021-10-24 | 19 | 6 | 2 | PACE | UP | PASS | FAIL | 613 | 394.9016 | 613 | 0 | -218.0984
RTD | 2021-10-24 | 19 | 7 | 3 | PACE | UP | PASS | FAIL | 613 | 371.1073 | 613 | 0 | -241.8927
RTD | 2021-10-24 | 19 | 8 | 3 | PACE | UP | PASS | FAIL | 613 | 366.8232 | 613 | 0 | -246.1768
RTD | 2021-10-24 | 19 | 9 | 3 | PACE | UP | PASS | FAIL | 613 | 350.0418 | 613 | 0 | -262.9582
RTD | 2021-10-24 | 19 | 10 | 4 | PACE | UP | PASS | FAIL | 613 | 358.3028 | 613 | 0 | -254.6972
RTD | 2021-10-24 | 19 | 11 | 4 | PACE | UP | PASS | FAIL | 611.5 | 345.7199 | 611.5 | 0 | -265.7801
RTD | 2021-10-24 | 19 | 12 | 4 | PACE | UP | PASS | FAIL | 618.125 | 341.1018 | 618.125 | 0 | -277.0232
RTD | 2021-10-04 | 19 | 10 | 4 | PACW | UP | PASS | FAIL | -846 | -893.0351 | -846 | 0 | -47.0351
RTD | 2021-10-04 | 19 | 11 | 4 | PACW | UP | PASS | FAIL | -844.5 | -868.0079 | -844.5 | 0 | -23.5079
RTD | 2021-10-04 | 19 | 12 | 4 | PACW | UP | PASS | FAIL | -841.5 | -841.5 | -841.5 | 0 | 2.6414e-05
RTD | 2021-10-04 | 20 | 4 | 2 | PACW | UP | PASS | FAIL | -782.0758 | -782.0758 | -834 | 51.9242 | 51.9242
RTD | 2021-10-04 | 20 | 5 | 2 | PACW | UP | PASS | FAIL | -782.0758 | -791.7309 | -834 | 51.9242 | 42.2691
RTD | 2021-10-04 | 20 | 6 | 2 | PACW | UP | PASS | FAIL | -782.0758 | -792.5367 | -834 | 51.9242 | 41.4633
RTD | 2021-10-01 | 20 | 1 | 1 | PGE | UP | PASS | FAIL | -70.75 | -70.75 | -70.75 | 0 | 1.6049e-05
RTD | 2021-10-01 | 20 | 2 | 1 | PGE | UP | PASS | FAIL | -72.25 | -72.25 | -72.25 | 0 | 1.3936e-05
RTD | 2021-10-01 | 20 | 3 | 1 | PGE | UP | PASS | FAIL | -73 | -73 | -73 | 0 | 1.7225e-05
RTD | 2021-10-01 | 20 | 4 | 2 | PGE | UP | PASS | FAIL | -73 | -73 | -73 | 0 | 1.6451e-05
RTD | 2021-10-01 | 20 | 5 | 2 | PGE | UP | PASS | FAIL | -73 | -73 | -73 | 0 | 1.6703e-05
RTD | 2021-10-01 | 20 | 6 | 2 | PGE | UP | PASS | FAIL | -73 | -73 | -73 | 0 | 1.4401e-05
RTD | 2021-10-01 | 20 | 7 | 3 | PGE | UP | PASS | FAIL | -73 | -73 | -73 | 0 | 1.3836e-05
RTD | 2021-10-01 | 20 | 8 | 3 | PGE | UP | PASS | FAIL | -73 | -73 | -73 | 0 | 1.4243e-05
RTD | 2021-10-01 | 20 | 9 | 3 | PGE | UP | PASS | FAIL | -73 | -73 | -73 | 0 | 1.4071e-05
RTD | 2021-10-01 | 20 | 10 | 4 | PGE | UP | PASS | FAIL | -73 | -73 | -73 | 0 | 1.6446e-05
RTD | 2021-10-01 | 20 | 11 | 4 | PGE | UP | PASS | FAIL | -72.875 | -72.875 | -72.875 | 0 | 9.3145e-06
RTD | 2021-10-01 | 20 | 12 | 4 | PGE | UP | PASS | FAIL | -72.625 | -72.625 | -72.625 | 0 | 5.8635e-06
RTD | 2021-10-04 | 10 | 4 | 2 | PGE | UP | PASS | FAIL | 245.668 | 245.668 | -69 | 314.668 | 314.668
RTD | 2021-10-04 | 10 | 5 | 2 | PGE | UP | PASS | FAIL | 245.668 | 245.668 | -69 | 314.668 | 314.668
RTD | 2021-10-04 | 10 | 6 | 2 | PGE | UP | PASS | FAIL | 245.668 | 245.668 | -69 | 314.668 | 314.668
RTD | 2021-10-04 | 10 | 7 | 3 | PGE | UP | PASS | FAIL | 245.668 | 245.668 | -69 | 314.668 | 314.668
RTD | 2021-10-04 | 10 | 8 | 3 | PGE | UP | PASS | FAIL | 245.668 | 245.668 | -69 | 314.668 | 314.668
RTD | 2021-10-04 | 10 | 9 | 3 | PGE | UP | PASS | FAIL | 245.668 | 245.668 | -69 | 314.668 | 314.668
RTD | 2021-10-04 | 10 | 10 | 4 | PGE | UP | PASS | FAIL | 245.6681 | 229.7642 | -69 | 314.6681 | 298.7642
RTD | 2021-10-04 | 10 | 11 | 4 | PGE | UP | PASS | FAIL | 245.6681 | 152.7389 | -69.625 | 315.2931 | 222.3639
RTD | 2021-10-04 | 10 | 12 | 4 | PGE | UP | PASS | FAIL | 245.6681 | 161.0365 | -70.875 | 316.5431 | 231.9115
RTD | 2021-10-04 | 21 | 1 | 1 | PGE | UP | PASS | FAIL | -97.375 | -126.4835 | -97.375 | 0 | -29.1085
RTD | 2021-10-04 | 21 | 2 | 1 | PGE | UP | PASS | FAIL | -97.125 | -125.7981 | -97.125 | 0 | -28.6731
RTD | 2021-10-04 | 21 | 3 | 1 | PGE | UP | PASS | FAIL | -97 | -112.999 | -97 | 0 | -15.999
RTD | 2021-10-04 | 21 | 4 | 2 | PGE | UP | PASS | FAIL | -97 | -111.2362 | -97 | 0 | -14.2362
RTD | 2021-10-04 | 21 | 5 | 2 | PGE | UP | PASS | FAIL | -97 | -122.6087 | -97 | 0 | -25.6087
RTD | 2021-10-04 | 21 | 6 | 2 | PGE | UP | PASS | FAIL | -97 | -114.592 | -97 | 0 | -17.592
RTD | 2021-10-12 | 8 | 7 | 3 | PGE | UP | PASS | FAIL | -88.9634 | -130.6892 | -91 | 2.0366 | -39.6892
RTD | 2021-10-12 | 8 | 8 | 3 | PGE | UP | PASS | FAIL | -88.9634 | -88.9633 | -91 | 2.0366 | 2.0367
RTD | 2021-10-12 | 8 | 9 | 3 | PGE | UP | PASS | FAIL | -88.9634 | -88.9633 | -91 | 2.0366 | 2.0367
RTD | 2021-10-12 | 8 | 10 | 4 | PGE | UP | PASS | FAIL | -88.9633 | -88.9632 | -91 | 2.0367 | 2.0368
RTD | 2021-10-12 | 8 | 11 | 4 | PGE | UP | PASS | FAIL | -87.5 | -87.5 | -87.5 | 0 | 2.3357e-05
RTD | 2021-10-12 | 8 | 12 | 4 | PGE | UP | PASS | FAIL | -80.5 | -80.5 | -80.5 | 0 | 2.7162e-05
RTD | 2021-10-27 | 19 | 7 | 3 | PGE | UP | FAIL | PASS | -84.5932 | -84.5932 | -93 | 8.4068 | 8.4068
RTD | 2021-10-27 | 19 | 8 | 3 | PGE | UP | FAIL | PASS | -84.5932 | -95.0517 | -93 | 8.4068 | -2.0517
RTD | 2021-10-27 | 19 | 9 | 3 | PGE | UP | FAIL | PASS | -84.5932 | -84.5931 | -93 | 8.4068 | 8.4069
RTD | 2021-10-29 | 22 | 1 | 1 | PGE | UP | PASS | FAIL | 234.5196 | 193.3305 | -92 | 326.5196 | 285.3305
RTD | 2021-10-29 | 22 | 2 | 1 | PGE | UP | PASS | FAIL | 234.5196 | 204.5943 | -92 | 326.5196 | 296.5943
RTD | 2021-10-29 | 22 | 3 | 1 | PGE | UP | PASS | FAIL | 234.5196 | 200.1596 | -92 | 326.5196 | 292.1596
RTD | 2021-10-01 | 1 | 1 | 1 | PSEI | UP | PASS | FAIL | 120.5894 | 29.2905 | 15.125 | 105.4644 | 14.1655
RTD | 2021-10-01 | 1 | 2 | 1 | PSEI | UP | PASS | FAIL | 120.5894 | -50.5274 | -16.625 | 137.2144 | -33.9024
RTD | 2021-10-01 | 1 | 3 | 1 | PSEI | UP | PASS | FAIL | 120.5894 | -111.3933 | -32 | 152.5894 | -79.3933
RTD | 2021-10-03 | 18 | 7 | 3 | PSEI | UP | PASS | FAIL | 466.7076 | 418.1361 | 243 | 223.7076 | 175.1361
RTD | 2021-10-03 | 18 | 8 | 3 | PSEI | UP | PASS | FAIL | 466.7076 | 414.4053 | 243 | 223.7076 | 171.4053
RTD | 2021-10-03 | 18 | 9 | 3 | PSEI | UP | PASS | FAIL | 466.7076 | 413.6262 | 243 | 223.7076 | 170.6262
RTD | 2021-10-03 | 18 | 10 | 4 | PSEI | UP | PASS | FAIL | 415.6802 | 415.6802 | 243 | 172.6802 | 172.6802
RTD | 2021-10-03 | 18 | 11 | 4 | PSEI | UP | PASS | FAIL | 415.6802 | 415.6802 | 246.125 | 169.5552 | 169.5552
RTD | 2021-10-03 | 18 | 12 | 4 | PSEI | UP | PASS | FAIL | 415.6802 | 402.9742 | 252.375 | 163.3052 | 150.5992
RTD | 2021-10-04 | 9 | 4 | 2 | PSEI | UP | PASS | FAIL | 285.6397 | 275.3573 | 93 | 192.6397 | 182.3573
RTD | 2021-10-04 | 9 | 5 | 2 | PSEI | UP | PASS | FAIL | 285.6397 | 285.6398 | 93 | 192.6397 | 192.6398
RTD | 2021-10-04 | 9 | 6 | 2 | PSEI | UP | PASS | FAIL | 285.6397 | 285.6398 | 93 | 192.6397 | 192.6398
RTD | 2021-10-04 | 9 | 7 | 3 | PSEI | UP | PASS | FAIL | 267.5565 | 267.5565 | 93 | 174.5565 | 174.5565
RTD | 2021-10-04 | 9 | 8 | 3 | PSEI | UP | PASS | FAIL | 267.5565 | 267.5565 | 93 | 174.5565 | 174.5565
RTD | 2021-10-04 | 9 | 9 | 3 | PSEI | UP | PASS | FAIL | 267.5565 | 245.4917 | 93 | 174.5565 | 152.4917
RTD | 2021-10-04 | 9 | 10 | 4 | PSEI | UP | PASS | FAIL | 266.5857 | 266.5857 | 93 | 173.5857 | 173.5857
RTD | 2021-10-04 | 9 | 11 | 4 | PSEI | UP | PASS | FAIL | 266.5857 | 266.5857 | 93 | 173.5857 | 173.5857
RTD | 2021-10-04 | 9 | 12 | 4 | PSEI | UP | PASS | FAIL | 266.5857 | 266.5857 | 93 | 173.5857 | 173.5857
RTD | 2021-10-04 | 18 | 10 | 4 | PSEI | UP | PASS | FAIL | 118 | 57.32 | 118 | 0 | -60.68
RTD | 2021-10-04 | 18 | 11 | 4 | PSEI | UP | PASS | FAIL | 114.875 | 85.7154 | 114.875 | 0 | -29.1596
RTD | 2021-10-04 | 18 | 12 | 4 | PSEI | UP | PASS | FAIL | 108.625 | 39.9561 | 108.625 | 0 | -68.6689
RTD | 2021-10-06 | 22 | 1 | 1 | PSEI | UP | PASS | FAIL | 111.8698 | 111.8698 | 93 | 18.8698 | 18.8698
RTD | 2021-10-06 | 22 | 2 | 1 | PSEI | UP | PASS | FAIL | 111.8698 | 111.8698 | 93 | 18.8698 | 18.8698
RTD | 2021-10-06 | 22 | 3 | 1 | PSEI | UP | PASS | FAIL | 111.8698 | 111.8698 | 93 | 18.8698 | 18.8698
RTD | 2021-10-08 | 12 | 1 | 1 | PSEI | UP | PASS | FAIL | 66.1897 | 66.1897 | 32 | 34.1897 | 34.1897
RTD | 2021-10-08 | 12 | 2 | 1 | PSEI | UP | PASS | FAIL | 66.1897 | 66.1897 | 38 | 28.1897 | 28.1897
RTD | 2021-10-08 | 12 | 3 | 1 | PSEI | UP | PASS | FAIL | 66.1897 | 66.1897 | 41 | 25.1897 | 25.1897
RTD | 2021-10-08 | 12 | 4 | 2 | PSEI | UP | PASS | FAIL | 53.5391 | 53.5391 | 41 | 12.5391 | 12.5391
RTD | 2021-10-08 | 12 | 5 | 2 | PSEI | UP | PASS | FAIL | 53.5391 | 53.5392 | 41 | 12.5391 | 12.5392
RTD | 2021-10-08 | 12 | 6 | 2 | PSEI | UP | PASS | FAIL | 53.5391 | 53.5391 | 41 | 12.5391 | 12.5391
RTD | 2021-10-08 | 12 | 7 | 3 | PSEI | UP | PASS | FAIL | 53.5393 | 53.5393 | 41 | 12.5393 | 12.5393
RTD | 2021-10-08 | 12 | 8 | 3 | PSEI | UP | PASS | FAIL | 53.5393 | 53.5393 | 41 | 12.5393 | 12.5393
RTD | 2021-10-08 | 12 | 9 | 3 | PSEI | UP | PASS | FAIL | 53.5393 | 53.5393 | 41 | 12.5393 | 12.5393
RTD | 2021-10-08 | 12 | 10 | 4 | PSEI | UP | PASS | FAIL | 53.5394 | 53.5395 | 41 | 12.5394 | 12.5395
RTD | 2021-10-08 | 12 | 11 | 4 | PSEI | UP | PASS | FAIL | 53.5394 | 53.5395 | 41 | 12.5394 | 12.5395
RTD | 2021-10-08 | 12 | 12 | 4 | PSEI | UP | PASS | FAIL | 53.5394 | 53.5394 | 41 | 12.5394 | 12.5394
RTD | 2021-10-08 | 21 | 1 | 1 | PSEI | UP | PASS | FAIL | 67.9225 | 67.9225 | 41.625 | 26.2975 | 26.2975
RTD | 2021-10-08 | 21 | 2 | 1 | PSEI | UP | PASS | FAIL | 67.9225 | 67.9225 | 41.875 | 26.0475 | 26.0475
RTD | 2021-10-08 | 21 | 3 | 1 | PSEI | UP | PASS | FAIL | 67.9225 | 67.9225 | 42 | 25.9225 | 25.9225
RTD | 2021-10-08 | 21 | 4 | 2 | PSEI | UP | PASS | FAIL | 67.9226 | 67.9226 | 42 | 25.9226 | 25.9226
RTD | 2021-10-08 | 21 | 5 | 2 | PSEI | UP | PASS | FAIL | 67.9226 | 67.9226 | 42 | 25.9226 | 25.9226
RTD | 2021-10-08 | 21 | 6 | 2 | PSEI | UP | PASS | FAIL | 67.9226 | 67.9226 | 42 | 25.9226 | 25.9226
RTD | 2021-10-11 | 24 | 1 | 1 | PSEI | UP | PASS | FAIL | -9 | -9 | -9 | 0 | 1.4268e-05
RTD | 2021-10-11 | 24 | 2 | 1 | PSEI | UP | PASS | FAIL | -9 | -9 | -9 | 0 | 2.6874e-05
RTD | 2021-10-11 | 24 | 3 | 1 | PSEI | UP | PASS | FAIL | -9 | -8.9992 | -9 | 0 | 0.0007915
RTD | 2021-10-12 | 9 | 1 | 1 | PSEI | UP | PASS | FAIL | 141 | 137.4546 | 141 | 0 | -3.5454
RTD | 2021-10-12 | 9 | 2 | 1 | PSEI | UP | PASS | FAIL | 141 | 114.7144 | 141 | 0 | -26.2856
RTD | 2021-10-12 | 9 | 3 | 1 | PSEI | UP | PASS | FAIL | 141 | 84.6516 | 141 | 0 | -56.3484
RTD | 2021-10-12 | 22 | 1 | 1 | PSEI | UP | PASS | FAIL | 141 | -0.47123 | 141 | 0 | -141.4712
RTD | 2021-10-12 | 22 | 2 | 1 | PSEI | UP | PASS | FAIL | 141 | -5.9707 | 141 | 0 | -146.9707
RTD | 2021-10-12 | 22 | 3 | 1 | PSEI | UP | PASS | FAIL | 141 | 7.9671 | 141 | 0 | -133.0329
RTD | 2021-10-19 | 9 | 1 | 1 | PSEI | UP | PASS | FAIL | 366 | 352.1446 | 366 | 0 | -13.8554
RTD | 2021-10-19 | 9 | 2 | 1 | PSEI | UP | PASS | FAIL | 366 | 356.0039 | 366 | 0 | -9.9961
RTD | 2021-10-19 | 9 | 3 | 1 | PSEI | UP | PASS | FAIL | 366 | 304.1787 | 366 | 0 | -61.8213
RTD | 2021-10-19 | 9 | 4 | 2 | PSEI | UP | PASS | FAIL | 366 | 351.4389 | 366 | 0 | -14.5611
RTD | 2021-10-19 | 9 | 5 | 2 | PSEI | UP | PASS | FAIL | 366 | 366 | 366 | 0 | 1.5803e-06
RTD | 2021-10-19 | 9 | 6 | 2 | PSEI | UP | PASS | FAIL | 366 | 366 | 366 | 0 | 8.5115e-07
RTD | 2021-10-20 | 9 | 1 | 1 | PSEI | UP | PASS | FAIL | 248.2572 | 86.5483 | 91 | 157.2572 | -4.4517
RTD | 2021-10-20 | 9 | 2 | 1 | PSEI | UP | PASS | FAIL | 248.2572 | 80.8549 | 91 | 157.2572 | -10.1451
RTD | 2021-10-20 | 9 | 3 | 1 | PSEI | UP | PASS | FAIL | 248.2572 | 49.8887 | 91 | 157.2572 | -41.1113
RTD | 2021-10-20 | 9 | 4 | 2 | PSEI | UP | PASS | FAIL | 91.0001 | 41.4182 | 91 | 8.4268e-05 | -49.5818
RTD | 2021-10-20 | 9 | 5 | 2 | PSEI | UP | PASS | FAIL | 91.0001 | 49.7292 | 91 | 8.4268e-05 | -41.2708
RTD | 2021-10-20 | 9 | 6 | 2 | PSEI | UP | PASS | FAIL | 91.0001 | 29.0376 | 91 | 8.4268e-05 | -61.9624
RTD | 2021-10-20 | 9 | 7 | 3 | PSEI | UP | PASS | FAIL | 91 | 50.7134 | 91 | 0 | -40.2866
RTD | 2021-10-20 | 9 | 8 | 3 | PSEI | UP | PASS | FAIL | 91 | 14.9235 | 91 | 0 | -76.0765
RTD | 2021-10-20 | 9 | 9 | 3 | PSEI | UP | PASS | FAIL | 91 | 21.3257 | 91 | 0 | -69.6743
RTD | 2021-10-20 | 9 | 10 | 4 | PSEI | UP | PASS | FAIL | 91 | 23.2495 | 91 | 0 | -67.7505
RTD | 2021-10-20 | 9 | 11 | 4 | PSEI | UP | PASS | FAIL | 91 | 16.7698 | 91 | 0 | -74.2302
RTD | 2021-10-20 | 9 | 12 | 4 | PSEI | UP | PASS | FAIL | 91 | -27.9501 | 91 | 0 | -118.9501
RTD | 2021-10-21 | 20 | 1 | 1 | PSEI | UP | PASS | FAIL | 138.5232 | 20.8297 | 42 | 96.5232 | -21.1703
RTD | 2021-10-21 | 20 | 2 | 1 | PSEI | UP | PASS | FAIL | 138.5232 | -38.3041 | 42 | 96.5232 | -80.3041
RTD | 2021-10-21 | 20 | 3 | 1 | PSEI | UP | PASS | FAIL | 138.5232 | -40.9533 | 42 | 96.5232 | -82.9533
RTD | 2021-10-21 | 20 | 4 | 2 | PSEI | UP | PASS | FAIL | 42 | -54.8406 | 42 | 0 | -96.8406
RTD | 2021-10-21 | 20 | 5 | 2 | PSEI | UP | PASS | FAIL | 42 | -51.4512 | 42 | 0 | -93.4512
RTD | 2021-10-21 | 20 | 6 | 2 | PSEI | UP | PASS | FAIL | 42 | -47.7974 | 42 | 0 | -89.7974
RTD | 2021-10-26 | 23 | 1 | 1 | PSEI | UP | PASS | FAIL | 54.1139 | -130.6681 | -38.25 | 92.3639 | -92.4181
RTD | 2021-10-26 | 23 | 2 | 1 | PSEI | UP | PASS | FAIL | 54.1139 | -134.5756 | -100.75 | 154.8639 | -33.8256
RTD | 2021-10-26 | 23 | 3 | 1 | PSEI | UP | PASS | FAIL | 54.1139 | -130.1532 | -133 | 187.1139 | 2.8468
RTD | 2021-10-30 | 22 | 1 | 1 | PSEI | UP | PASS | FAIL | 252.7599 | 252.7599 | 73 | 179.7599 | 179.7599
RTD | 2021-10-30 | 22 | 2 | 1 | PSEI | UP | PASS | FAIL | 252.7599 | 252.7599 | 73 | 179.7599 | 179.7599
RTD | 2021-10-30 | 22 | 3 | 1 | PSEI | UP | PASS | FAIL | 252.7599 | 252.7599 | 73 | 179.7599 | 179.7599
RTD | 2021-10-30 | 22 | 4 | 2 | PSEI | UP | PASS | FAIL | 252.7622 | 252.7623 | 73 | 179.7622 | 179.7623
RTD | 2021-10-30 | 22 | 5 | 2 | PSEI | UP | PASS | FAIL | 252.7622 | 252.7623 | 73 | 179.7622 | 179.7623
RTD | 2021-10-30 | 22 | 6 | 2 | PSEI | UP | PASS | FAIL | 252.7622 | 252.7623 | 73 | 179.7622 | 179.7623
RTD | 2021-10-30 | 23 | 1 | 1 | PSEI | UP | PASS | FAIL | 324.8047 | 260.2672 | 68.875 | 255.9297 | 191.3922
RTD | 2021-10-30 | 23 | 2 | 1 | PSEI | UP | PASS | FAIL | 324.8047 | 272.43 | 66.625 | 258.1797 | 205.805
RTD | 2021-10-30 | 23 | 3 | 1 | PSEI | UP | PASS | FAIL | 324.8047 | 225.6601 | 66 | 258.8047 | 159.6601
RTD | 2021-10-28 | 17 | 1 | 1 | SCL | UP | PASS | FAIL | 140.6893 | 126.2934 | -25 | 165.6893 | 151.2934
RTD | 2021-10-28 | 17 | 2 | 1 | SCL | UP | PASS | FAIL | 140.6893 | 17.3419 | -25 | 165.6893 | 42.3419
RTD | 2021-10-28 | 17 | 3 | 1 | SCL | UP | PASS | FAIL | 140.6893 | 1.5922 | -25 | 165.6893 | 26.5922
RTD | 2021-10-28 | 17 | 4 | 2 | SCL | UP | PASS | FAIL | 78.6523 | -0.55273 | -25 | 103.6523 | 24.4473
RTD | 2021-10-28 | 17 | 5 | 2 | SCL | UP | PASS | FAIL | 78.6523 | -0.17383 | -25 | 103.6523 | 24.8262
RTD | 2021-10-28 | 17 | 6 | 2 | SCL | UP | PASS | FAIL | 78.6523 | -12.5464 | -25 | 103.6523 | 12.4536
RTD | 2021-10-28 | 17 | 7 | 3 | SCL | UP | PASS | FAIL | 72.4152 | -13.3199 | -25 | 97.4152 | 11.6801
RTD | 2021-10-28 | 17 | 8 | 3 | SCL | UP | PASS | FAIL | 72.4152 | -25 | -25 | 97.4152 | 4.5335e-07
RTD | 2021-10-28 | 17 | 9 | 3 | SCL | UP | PASS | FAIL | 72.4152 | -25 | -25 | 97.4152 | 4.4971e-07
RTD | 2021-10-28 | 17 | 10 | 4 | SCL | UP | PASS | FAIL | -25 | -25 | -25 | 0 | 4.7547e-07
RTD | 2021-10-28 | 17 | 11 | 4 | SCL | UP | PASS | FAIL | -25 | -33.3195 | -25 | 0 | -8.3195
RTD | 2021-10-28 | 17 | 12 | 4 | SCL | UP | PASS | FAIL | -25 | -58.4794 | -25 | 0 | -33.4794
RTD | 2021-10-03 | 19 | 1 | 1 | SRP | UP | PASS | FAIL | 1500 | 1471.5323 | 1500 | 0 | -28.4677
RTD | 2021-10-03 | 19 | 2 | 1 | SRP | UP | PASS | FAIL | 1478 | 1456.3197 | 1478 | 0 | -21.6803
RTD | 2021-10-03 | 19 | 3 | 1 | SRP | UP | PASS | FAIL | 1468 | 1429.1751 | 1468 | 0 | -38.8249
RTD | 2021-10-03 | 19 | 4 | 2 | SRP | UP | PASS | FAIL | 1468 | 1393.1582 | 1468 | 0 | -74.8418
RTD | 2021-10-03 | 19 | 5 | 2 | SRP | UP | PASS | FAIL | 1468 | 1376.9116 | 1468 | 0 | -91.0884
RTD | 2021-10-03 | 19 | 6 | 2 | SRP | UP | PASS | FAIL | 1468 | 1364.2656 | 1468 | 0 | -103.7344
RTD | 2021-10-24 | 19 | 4 | 2 | SRP | UP | FAIL | PASS | 1392.3312 | 1392.332 | 1045 | 347.3312 | 347.332
RTD | 2021-10-24 | 19 | 5 | 2 | SRP | UP | FAIL | PASS | 1392.3312 | 1392.3162 | 1045 | 347.3312 | 347.3162
RTD | 2021-10-24 | 19 | 6 | 2 | SRP | UP | FAIL | PASS | 1392.3312 | 1374.4631 | 1045 | 347.3312 | 329.4631
RTD | 2021-10-29 | 19 | 1 | 1 | SRP | UP | FAIL | PASS | 810 | 737.8613 | 810 | 0 | -72.1387
RTD | 2021-10-29 | 19 | 2 | 1 | SRP | UP | FAIL | PASS | 815 | 766.966 | 815 | 0 | -48.034
RTD | 2021-10-29 | 19 | 3 | 1 | SRP | UP | FAIL | PASS | 818 | 797.8593 | 818 | 0 | -20.1407
RTD | 2021-10-31 | 19 | 1 | 1 | SRP | UP | FAIL | FAIL | 1133.2837 | 990.9722 | 810 | 323.2837 | 180.9722
RTD | 2021-10-31 | 19 | 2 | 1 | SRP | UP | FAIL | FAIL | 1133.2837 | 1014.8924 | 816 | 317.2837 | 198.8924
RTD | 2021-10-31 | 19 | 3 | 1 | SRP | UP | FAIL | FAIL | 1133.2837 | 1030.6009 | 820 | 313.2837 | 210.6009
RTD | 2021-10-31 | 19 | 4 | 2 | SRP | UP | FAIL | PASS | 1026.985 | 1026.985 | 820 | 206.985 | 206.985
RTD | 2021-10-31 | 19 | 5 | 2 | SRP | UP | FAIL | PASS | 1026.985 | 1026.985 | 820 | 206.985 | 206.985
RTD | 2021-10-31 | 19 | 6 | 2 | SRP | UP | FAIL | PASS | 1026.985 | 992.7539 | 820 | 206.985 | 172.7539
RTD | 2021-10-31 | 19 | 7 | 3 | SRP | UP | FAIL | PASS | 1026.9856 | 974.3344 | 820 | 206.9856 | 154.3344
RTD | 2021-10-31 | 19 | 8 | 3 | SRP | UP | FAIL | PASS | 1026.9856 | 951.6174 | 820 | 206.9856 | 131.6174
RTD | 2021-10-31 | 19 | 9 | 3 | SRP | UP | FAIL | PASS | 1026.9856 | 917.0005 | 820 | 206.9856 | 97.0005
RTD | 2021-10-04 | 20 | 1 | 1 | TIDC | UP | FAIL | PASS | 151.651 | 151.6359 | 125 | 26.651 | 26.6359
RTD | 2021-10-04 | 20 | 2 | 1 | TIDC | UP | FAIL | PASS | 151.651 | 151.6359 | 123 | 28.651 | 28.6359
RTD | 2021-10-04 | 20 | 3 | 1 | TIDC | UP | FAIL | PASS | 151.651 | 151.6359 | 122 | 29.651 | 29.6359
RTD | 2021-10-17 | 24 | 1 | 1 | TIDC | UP | PASS | FAIL | 224.3561 | 224.3561 | 141 | 83.3561 | 83.3561
RTD | 2021-10-17 | 24 | 2 | 1 | TIDC | UP | PASS | FAIL | 224.3561 | 224.3561 | 152 | 72.3561 | 72.3561
RTD | 2021-10-17 | 24 | 3 | 1 | TIDC | UP | PASS | FAIL | 224.3561 | 224.3561 | 157 | 67.3561 | 67.3561
RTD | 2021-10-17 | 24 | 4 | 2 | TIDC | UP | PASS | FAIL | 216.9763 | 216.9763 | 157 | 59.9763 | 59.9763
RTD | 2021-10-17 | 24 | 5 | 2 | TIDC | UP | PASS | FAIL | 216.9763 | 216.9763 | 157 | 59.9763 | 59.9763
RTD | 2021-10-17 | 24 | 6 | 2 | TIDC | UP | PASS | FAIL | 216.9763 | 216.9763 | 157 | 59.9763 | 59.9763
RTD | 2021-10-17 | 24 | 7 | 3 | TIDC | UP | PASS | FAIL | 216.9763 | 216.9763 | 157 | 59.9763 | 59.9763
RTD | 2021-10-17 | 24 | 8 | 3 | TIDC | UP | PASS | FAIL | 216.9763 | 216.9763 | 157 | 59.9763 | 59.9763
RTD | 2021-10-17 | 24 | 9 | 3 | TIDC | UP | PASS | FAIL | 216.9763 | 216.9763 | 157 | 59.9763 | 59.9763
RTD | 2021-10-17 | 24 | 10 | 4 | TIDC | UP | PASS | FAIL | 216.9763 | 216.9763 | 157 | 59.9763 | 59.9763
RTD | 2021-10-17 | 24 | 11 | 4 | TIDC | UP | PASS | FAIL | 216.9763 | 216.9763 | 155 | 61.9763 | 61.9763
RTD | 2021-10-17 | 24 | 12 | 4 | TIDC | UP | PASS | FAIL | 216.9763 | 215.1828 | 151 | 65.9763 | 64.1828
RTD | 2021-10-18 | 2 | 1 | 1 | TIDC | UP | PASS | FAIL | 182.7199 | 182.7199 | 142 | 40.7199 | 40.7199
RTD | 2021-10-18 | 2 | 2 | 1 | TIDC | UP | PASS | FAIL | 182.7199 | 182.7199 | 142 | 40.7199 | 40.7199
RTD | 2021-10-18 | 2 | 3 | 1 | TIDC | UP | PASS | FAIL | 182.7199 | 182.7199 | 142 | 40.7199 | 40.7199
RTD | 2021-10-18 | 2 | 4 | 2 | TIDC | UP | PASS | FAIL | 182.7199 | 182.7199 | 142 | 40.7199 | 40.7199
RTD | 2021-10-18 | 2 | 5 | 2 | TIDC | UP | PASS | FAIL | 182.7199 | 182.7199 | 142 | 40.7199 | 40.7199
RTD | 2021-10-18 | 2 | 6 | 2 | TIDC | UP | PASS | FAIL | 182.7199 | 182.7199 | 142 | 40.7199 | 40.7199
RTD | 2021-10-18 | 2 | 7 | 3 | TIDC | UP | PASS | FAIL | 181.8124 | 181.8124 | 142 | 39.8124 | 39.8124
RTD | 2021-10-18 | 2 | 8 | 3 | TIDC | UP | PASS | FAIL | 181.8124 | 181.8124 | 142 | 39.8124 | 39.8124
RTD | 2021-10-18 | 2 | 9 | 3 | TIDC | UP | PASS | FAIL | 181.8124 | 181.8124 | 142 | 39.8124 | 39.8124
RTD | 2021-10-18 | 2 | 10 | 4 | TIDC | UP | PASS | FAIL | 180.5017 | 180.5017 | 142 | 38.5017 | 38.5017
RTD | 2021-10-18 | 2 | 11 | 4 | TIDC | UP | PASS | FAIL | 180.5017 | 180.5017 | 142 | 38.5017 | 38.5017
RTD | 2021-10-18 | 2 | 12 | 4 | TIDC | UP | PASS | FAIL | 180.5017 | 179.6471 | 142 | 38.5017 | 37.6471
RTD | 2021-10-18 | 7 | 10 | 4 | TIDC | UP | PASS | FAIL | 168 | 168 | 168 | 0 | 5.123e-06
RTD | 2021-10-18 | 7 | 11 | 4 | TIDC | UP | PASS | FAIL | 170 | 170 | 170 | 0 | 5.121e-06
RTD | 2021-10-18 | 7 | 12 | 4 | TIDC | UP | PASS | FAIL | 174 | 172.001 | 174 | 0 | -1.999
RTD | 2021-10-18 | 9 | 7 | 3 | TIDC | UP | PASS | FAIL | 196.8315 | 196.8315 | 134 | 62.8315 | 62.8315
RTD | 2021-10-18 | 9 | 8 | 3 | TIDC | UP | PASS | FAIL | 196.8315 | 196.8315 | 134 | 62.8315 | 62.8315
RTD | 2021-10-18 | 9 | 9 | 3 | TIDC | UP | PASS | FAIL | 196.8315 | 196.8315 | 134 | 62.8315 | 62.8315
RTD | 2021-10-18 | 9 | 10 | 4 | TIDC | UP | PASS | FAIL | 196.8315 | 136.9758 | 134 | 62.8315 | 2.9758
RTD | 2021-10-18 | 9 | 11 | 4 | TIDC | UP | PASS | FAIL | 196.8315 | 134.9954 | 138 | 58.8315 | -3.0046
RTD | 2021-10-18 | 9 | 12 | 4 | TIDC | UP | PASS | FAIL | 196.8315 | 135.4028 | 146 | 50.8315 | -10.5972
RTD | 2021-10-18 | 10 | 1 | 1 | TIDC | UP | PASS | FAIL | 153 | 136.4166 | 153 | 0 | -16.5834
RTD | 2021-10-18 | 10 | 2 | 1 | TIDC | UP | PASS | FAIL | 161 | 136.9524 | 161 | 0 | -24.0476
RTD | 2021-10-18 | 10 | 3 | 1 | TIDC | UP | PASS | FAIL | 165 | 136.7227 | 165 | 0 | -28.2773
RTD | 2021-10-18 | 10 | 4 | 2 | TIDC | UP | PASS | FAIL | 165 | 155.8075 | 165 | 0 | -9.1925
RTD | 2021-10-18 | 10 | 5 | 2 | TIDC | UP | PASS | FAIL | 165 | 138.2582 | 165 | 0 | -26.7418
RTD | 2021-10-18 | 10 | 6 | 2 | TIDC | UP | PASS | FAIL | 165 | 139.6086 | 165 | 0 | -25.3914
RTD | 2021-10-18 | 10 | 7 | 3 | TIDC | UP | PASS | FAIL | 165 | 139.6646 | 165 | 0 | -25.3354
RTD | 2021-10-18 | 10 | 8 | 3 | TIDC | UP | PASS | FAIL | 165 | 145.9151 | 165 | 0 | -19.0849
RTD | 2021-10-18 | 10 | 9 | 3 | TIDC | UP | PASS | FAIL | 165 | 138.8083 | 165 | 0 | -26.1917
RTD | 2021-10-18 | 10 | 10 | 4 | TIDC | UP | PASS | FAIL | 165 | 157.4457 | 165 | 0 | -7.5543
RTD | 2021-10-18 | 10 | 11 | 4 | TIDC | UP | PASS | FAIL | 162 | 152.3513 | 162 | 0 | -9.6487
RTD | 2021-10-18 | 10 | 12 | 4 | TIDC | UP | PASS | FAIL | 157 | 120.958 | 157 | 0 | -36.042
RTD | 2021-10-18 | 13 | 1 | 1 | TIDC | UP | PASS | FAIL | 138 | 96.7324 | 138 | 0 | -41.2676
RTD | 2021-10-18 | 13 | 2 | 1 | TIDC | UP | PASS | FAIL | 135 | 92.3941 | 135 | 0 | -42.6059
RTD | 2021-10-18 | 13 | 3 | 1 | TIDC | UP | PASS | FAIL | 134 | 90.5395 | 134 | 0 | -43.4605
RTD | 2021-10-18 | 13 | 4 | 2 | TIDC | UP | PASS | FAIL | 134 | 91.3264 | 134 | 0 | -42.6736
RTD | 2021-10-18 | 13 | 5 | 2 | TIDC | UP | PASS | FAIL | 134 | 91.5407 | 134 | 0 | -42.4593
RTD | 2021-10-18 | 13 | 6 | 2 | TIDC | UP | PASS | FAIL | 134 | 91.9318 | 134 | 0 | -42.0682
RTD | 2021-10-18 | 13 | 7 | 3 | TIDC | UP | PASS | FAIL | 134 | 92.3969 | 134 | 1.0191e-05 | -41.6031
RTD | 2021-10-18 | 13 | 8 | 3 | TIDC | UP | PASS | FAIL | 134 | 83.813 | 134 | 1.0191e-05 | -50.187
RTD | 2021-10-18 | 13 | 9 | 3 | TIDC | UP | PASS | FAIL | 134 | 84.1928 | 134 | 1.0191e-05 | -49.8072
RTD | 2021-10-18 | 13 | 10 | 4 | TIDC | UP | PASS | FAIL | 134 | 84.7556 | 134 | 0 | -49.2444
RTD | 2021-10-18 | 13 | 11 | 4 | TIDC | UP | PASS | FAIL | 133 | 81.5629 | 133 | 0 | -51.4371
RTD | 2021-10-18 | 13 | 12 | 4 | TIDC | UP | PASS | FAIL | 132 | 81.8915 | 132 | 0 | -50.1085
RTD | 2021-10-18 | 18 | 1 | 1 | TIDC | UP | PASS | FAIL | 132 | 132 | 132 | 0 | 2.8166e-05
RTD | 2021-10-18 | 18 | 2 | 1 | TIDC | UP | PASS | FAIL | 137 | 137 | 137 | 0 | 2.4025e-05
RTD | 2021-10-18 | 18 | 3 | 1 | TIDC | UP | PASS | FAIL | 139 | 139 | 139 | 0 | 2.2242e-05
RTD | 2021-10-18 | 18 | 4 | 2 | TIDC | UP | PASS | FAIL | 139 | 139 | 139 | 0 | 2.2433e-05
RTD | 2021-10-18 | 18 | 5 | 2 | TIDC | UP | PASS | FAIL | 139 | 139 | 139 | 0 | 1.8142e-05
RTD | 2021-10-18 | 18 | 6 | 2 | TIDC | UP | PASS | FAIL | 139 | 139 | 139 | 0 | 1.3937e-05
RTD | 2021-10-18 | 18 | 7 | 3 | TIDC | UP | PASS | FAIL | 139 | 139 | 139 | 3.5291e-05 | 4.6789e-05
RTD | 2021-10-18 | 18 | 8 | 3 | TIDC | UP | PASS | FAIL | 139 | 139 | 139 | 3.5291e-05 | 4.2089e-05
RTD | 2021-10-18 | 18 | 9 | 3 | TIDC | UP | PASS | FAIL | 139 | 139 | 139 | 3.5291e-05 | 3.8575e-05
RTD | 2021-10-18 | 18 | 10 | 4 | TIDC | UP | PASS | FAIL | 139 | 139 | 139 | 0 | 2.8833e-06
RTD | 2021-10-18 | 18 | 11 | 4 | TIDC | UP | PASS | FAIL | 140 | 120.7199 | 140 | 0 | -19.2801
RTD | 2021-10-18 | 18 | 12 | 4 | TIDC | UP | PASS | FAIL | 141 | 108.7675 | 141 | 0 | -32.2325
RTD | 2021-10-18 | 20 | 1 | 1 | TIDC | UP | PASS | FAIL | 150 | 133.6859 | 150 | 0 | -16.3141
RTD | 2021-10-18 | 20 | 2 | 1 | TIDC | UP | PASS | FAIL | 153 | 133.7536 | 153 | 0 | -19.2464
RTD | 2021-10-18 | 20 | 3 | 1 | TIDC | UP | PASS | FAIL | 154 | 133.7148 | 154 | 0 | -20.2852
RTD | 2021-10-18 | 20 | 4 | 2 | TIDC | UP | PASS | FAIL | 154 | 151.6662 | 154 | 0 | -2.3338
RTD | 2021-10-18 | 20 | 5 | 2 | TIDC | UP | PASS | FAIL | 154 | 154 | 154 | 0 | 3.5044e-07
RTD | 2021-10-18 | 20 | 6 | 2 | TIDC | UP | PASS | FAIL | 154 | 154 | 154 | 0 | 3.5044e-07
RTD | 2021-10-18 | 20 | 7 | 3 | TIDC | UP | PASS | FAIL | 154 | 154 | 154 | 0 | 9.4531e-07
RTD | 2021-10-18 | 20 | 8 | 3 | TIDC | UP | PASS | FAIL | 154 | 154 | 154 | 0 | 2.1265e-06
RTD | 2021-10-18 | 20 | 9 | 3 | TIDC | UP | PASS | FAIL | 154 | 154 | 154 | 0 | 2.0269e-06
RTD | 2021-10-18 | 20 | 10 | 4 | TIDC | UP | PASS | FAIL | 154 | 154 | 154 | 0 | 2.3769e-07
RTD | 2021-10-18 | 20 | 11 | 4 | TIDC | UP | PASS | FAIL | 152 | 151.5733 | 152 | 0 | -0.4267
RTD | 2021-10-18 | 20 | 12 | 4 | TIDC | UP | PASS | FAIL | 148 | 135.4789 | 148 | 0 | -12.5211
RTD | 2021-10-25 | 5 | 1 | 1 | TIDC | UP | FAIL | PASS | 149.6741 | 56.5427 | 73 | 76.6741 | -16.4573
RTD | 2021-10-25 | 5 | 2 | 1 | TIDC | UP | FAIL | PASS | 149.6741 | 54.8359 | 72 | 77.6741 | -17.1641
RTD | 2021-10-25 | 5 | 3 | 1 | TIDC | UP | FAIL | PASS | 149.6741 | 53.5528 | 77 | 72.6741 | -23.4472
RTD | 2021-10-25 | 5 | 4 | 2 | TIDC | UP | FAIL | PASS | 225 | 8.5777 | 225 | 0 | -216.4223
RTD | 2021-10-25 | 5 | 5 | 2 | TIDC | UP | FAIL | PASS | 231 | 192.7192 | 231 | 0 | -38.2808
RTD | 2021-10-25 | 5 | 6 | 2 | TIDC | UP | FAIL | PASS | 193.3776 | 193.3776 | 223 | -29.6224 | -29.6224
RTD | 2021-10-25 | 5 | 7 | 3 | TIDC | UP | FAIL | PASS | 194.3327 | 194.3327 | 223 | -28.6673 | -28.6673
RTD | 2021-10-25 | 5 | 8 | 3 | TIDC | UP | FAIL | PASS | 223 | 84.2175 | 223 | 0 | -138.7825
RTD | 2021-10-25 | 5 | 9 | 3 | TIDC | UP | FAIL | PASS | 223 | 85.1418 | 223 | 0 | -137.8582
RTD | 2021-10-25 | 5 | 10 | 4 | TIDC | UP | FAIL | PASS | 223 | 86.9284 | 223 | 0 | -136.0716
RTD | 2021-10-25 | 5 | 11 | 4 | TIDC | UP | FAIL | PASS | 210 | 71.0448 | 210 | 0 | -138.9552
RTD | 2021-10-25 | 5 | 12 | 4 | TIDC | UP | FAIL | PASS | 183 | 28.0413 | 183 | 0 | -154.9587
RTD | 2021-10-25 | 8 | 1 | 1 | TIDC | UP | PASS | FAIL | 116 | 115.9848 | 116 | 0 | -0.015249
RTD | 2021-10-25 | 8 | 2 | 1 | TIDC | UP | PASS | FAIL | 131 | 130.9848 | 131 | 0 | -0.015234
RTD | 2021-10-25 | 8 | 3 | 1 | TIDC | UP | PASS | FAIL | 138 | 137.9848 | 138 | 0 | -0.015213
RTD | 2021-10-25 | 8 | 4 | 2 | TIDC | UP | PASS | FAIL | 138 | 128.6879 | 138 | 0 | -9.3121
RTD | 2021-10-25 | 8 | 5 | 2 | TIDC | UP | PASS | FAIL | 138 | 123.2425 | 138 | 0 | -14.7575
RTD | 2021-10-25 | 8 | 6 | 2 | TIDC | UP | PASS | FAIL | 138 | 123.8344 | 138 | 0 | -14.1656
RTD | 2021-10-25 | 8 | 7 | 3 | TIDC | UP | PASS | FAIL | 138 | 123.5046 | 138 | 0 | -14.4954
RTD | 2021-10-25 | 8 | 8 | 3 | TIDC | UP | PASS | FAIL | 138 | 121.1466 | 138 | 0 | -16.8534
RTD | 2021-10-25 | 8 | 9 | 3 | TIDC | UP | PASS | FAIL | 138 | 127.7847 | 138 | 0 | -10.2153
RTD | 2021-10-25 | 8 | 10 | 4 | TIDC | UP | PASS | FAIL | 138 | 122.7295 | 138 | 0 | -15.2705
RTD | 2021-10-25 | 8 | 11 | 4 | TIDC | UP | PASS | FAIL | 137 | 128.3993 | 137 | 0 | -8.6007
RTD | 2021-10-25 | 8 | 12 | 4 | TIDC | UP | PASS | FAIL | 135 | 120.2887 | 135 | 0 | -14.7113
RTD | 2021-10-25 | 9 | 4 | 2 | TIDC | UP | PASS | FAIL | 130 | 115.4566 | 130 | 0 | -14.5434
RTD | 2021-10-25 | 9 | 5 | 2 | TIDC | UP | PASS | FAIL | 130 | 115.6266 | 130 | 0 | -14.3734
RTD | 2021-10-25 | 9 | 6 | 2 | TIDC | UP | PASS | FAIL | 130 | 122.8187 | 130 | 0 | -7.1813
RTD | 2021-10-25 | 9 | 7 | 3 | TIDC | UP | PASS | FAIL | 130 | 130 | 130 | 0 | 3.3544e-08
RTD | 2021-10-25 | 9 | 8 | 3 | TIDC | UP | PASS | FAIL | 130 | 129.001 | 130 | 0 | -0.999
RTD | 2021-10-25 | 9 | 9 | 3 | TIDC | UP | PASS | FAIL | 130 | 127.001 | 130 | 0 | -2.999
RTD | 2021-10-25 | 9 | 10 | 4 | TIDC | UP | PASS | FAIL | 130 | 116.0945 | 130 | 7.144e-06 | -13.9055
RTD | 2021-10-25 | 9 | 11 | 4 | TIDC | UP | PASS | FAIL | 130 | 114.8931 | 128 | 2 | -13.1069
RTD | 2021-10-25 | 9 | 12 | 4 | TIDC | UP | PASS | FAIL | 130 | 110.0113 | 124 | 6 | -13.9887
RTD | 2021-10-25 | 10 | 1 | 1 | TIDC | UP | PASS | FAIL | 128.3342 | 105.0433 | 120 | 8.3342 | -14.9567
RTD | 2021-10-25 | 10 | 2 | 1 | TIDC | UP | PASS | FAIL | 128.3342 | 105.0193 | 116 | 12.3342 | -10.9807
RTD | 2021-10-25 | 10 | 3 | 1 | TIDC | UP | PASS | FAIL | 128.3342 | 104.1417 | 114 | 14.3342 | -9.8583
RTD | 2021-10-25 | 10 | 4 | 2 | TIDC | UP | PASS | FAIL | 114 | 104.3859 | 114 | 0 | -9.6141
RTD | 2021-10-25 | 10 | 5 | 2 | TIDC | UP | PASS | FAIL | 114 | 104.2707 | 114 | 0 | -9.7293
RTD | 2021-10-25 | 10 | 6 | 2 | TIDC | UP | PASS | FAIL | 114 | 104.5195 | 114 | 0 | -9.4805
RTD | 2021-10-25 | 10 | 7 | 3 | TIDC | UP | PASS | FAIL | 114 | 104.8581 | 114 | 0 | -9.1419
RTD | 2021-10-25 | 10 | 8 | 3 | TIDC | UP | PASS | FAIL | 114 | 105.1266 | 114 | 0 | -8.8734
RTD | 2021-10-25 | 10 | 9 | 3 | TIDC | UP | PASS | FAIL | 114 | 103.541 | 114 | 0 | -10.459
RTD | 2021-10-25 | 10 | 10 | 4 | TIDC | UP | PASS | FAIL | 114 | 103.0456 | 114 | 0 | -10.9544
RTD | 2021-10-25 | 10 | 11 | 4 | TIDC | UP | PASS | FAIL | 113 | 111.001 | 113 | 0 | -1.999
RTD | 2021-10-25 | 10 | 12 | 4 | TIDC | UP | PASS | FAIL | 112 | 111.9849 | 112 | 0 | -0.015111
RTD | 2021-10-25 | 12 | 1 | 1 | TIDC | UP | PASS | FAIL | 192.9004 | 172.9933 | 109 | 83.9004 | 63.9933
RTD | 2021-10-25 | 12 | 2 | 1 | TIDC | UP | PASS | FAIL | 192.9004 | 151.9365 | 110 | 82.9004 | 41.9365
RTD | 2021-10-25 | 12 | 3 | 1 | TIDC | UP | PASS | FAIL | 192.9004 | 151.7458 | 110 | 82.9004 | 41.7458
RTD | 2021-10-25 | 12 | 4 | 2 | TIDC | UP | PASS | FAIL | 172.4871 | 152.5335 | 110 | 62.4871 | 42.5335
RTD | 2021-10-25 | 12 | 5 | 2 | TIDC | UP | PASS | FAIL | 172.4871 | 141.9856 | 110 | 62.4871 | 31.9856
RTD | 2021-10-25 | 12 | 6 | 2 | TIDC | UP | PASS | FAIL | 172.4871 | 143.3485 | 110 | 62.4871 | 33.3485
RTD | 2021-10-25 | 12 | 7 | 3 | TIDC | UP | PASS | FAIL | 172.4871 | 141.3866 | 110 | 62.4871 | 31.3866
RTD | 2021-10-25 | 12 | 8 | 3 | TIDC | UP | PASS | FAIL | 172.4871 | 141.1967 | 110 | 62.4871 | 31.1967
RTD | 2021-10-25 | 12 | 9 | 3 | TIDC | UP | PASS | FAIL | 172.4871 | 136.9106 | 110 | 62.4871 | 26.9106
RTD | 2021-10-25 | 12 | 10 | 4 | TIDC | UP | PASS | FAIL | 172.4871 | 124.2427 | 110 | 62.4871 | 14.2427
RTD | 2021-10-25 | 12 | 11 | 4 | TIDC | UP | PASS | FAIL | 172.4871 | 92.4309 | 110 | 62.4871 | -17.5691
RTD | 2021-10-25 | 12 | 12 | 4 | TIDC | UP | PASS | FAIL | 172.4871 | 85.7516 | 110 | 62.4871 | -24.2484
RTD | 2021-10-25 | 13 | 1 | 1 | TIDC | UP | PASS | FAIL | 165.3224 | 79.3838 | 110 | 55.3224 | -30.6162
RTD | 2021-10-25 | 13 | 2 | 1 | TIDC | UP | PASS | FAIL | 165.3224 | 74.2325 | 110 | 55.3224 | -35.7675
RTD | 2021-10-25 | 13 | 3 | 1 | TIDC | UP | PASS | FAIL | 165.3224 | 74.0477 | 110 | 55.3224 | -35.9523
RTD | 2021-10-25 | 13 | 4 | 2 | TIDC | UP | PASS | FAIL | 157.4776 | 86.3901 | 110 | 47.4776 | -23.6099
RTD | 2021-10-25 | 13 | 5 | 2 | TIDC | UP | PASS | FAIL | 157.4776 | 80.377 | 110 | 47.4776 | -29.623
RTD | 2021-10-25 | 13 | 6 | 2 | TIDC | UP | PASS | FAIL | 157.4776 | 71.72 | 110 | 47.4776 | -38.28
RTD | 2021-10-25 | 13 | 7 | 3 | TIDC | UP | PASS | FAIL | 143.9174 | 71.6698 | 110 | 33.9174 | -38.3302
RTD | 2021-10-25 | 13 | 8 | 3 | TIDC | UP | PASS | FAIL | 143.9174 | 73.9775 | 110 | 33.9174 | -36.0225
RTD | 2021-10-25 | 13 | 9 | 3 | TIDC | UP | PASS | FAIL | 143.9174 | 75.1415 | 110 | 33.9174 | -34.8585
RTD | 2021-10-25 | 13 | 10 | 4 | TIDC | UP | PASS | FAIL | 123.2637 | 78.4028 | 110 | 13.2637 | -31.5972
RTD | 2021-10-25 | 13 | 11 | 4 | TIDC | UP | PASS | FAIL | 123.2637 | 77.3902 | 111 | 12.2637 | -33.6098
RTD | 2021-10-25 | 13 | 12 | 4 | TIDC | UP | PASS | FAIL | 123.2637 | 85.4649 | 113 | 10.2637 | -27.5351