## Table 1
California Independent System Operator Corporation Exceptional Dispatch Report January 15, 2019
Chart 1: Table of Exceptional Dispatches for Period 01/November/2018 - 30/November/2018
Number | Market Type | Reason | Location | Local Reliability Area | Trade Date | MW | Commitment | INC_DEC | Hours | Begin Time | End Time
1 | RT | Conditions beyond the control of the CAISO | SCE | LA Basin | 2018-11-15 | 10 - 20 | Yes | INC | 24 | 43419 | 43420
2 | RT | Conditions beyond the control of the CAISO | SDGE | San Diego-IV | 2018-11-01 | 225 | No | INC | 7 | 43405 | 43405.2917
3 | RT | Contingency Dispatch | PGAE | Fresno | 2018-11-21 | 141 | No | INC | 1 | 43425.4132 | 43425.4167
4 | RT | Contingency Dispatch | SCE | LA Basin | 2018-11-09 | 147 | No | INC | 2 | 43413.3229 | 43413.3993
5 | RT | Fast Start Unit Management | SCE | LA Basin | 2018-11-10 | 0 | No | INC | 2 | 43414.0312 | 43414.0764
6 | RT | Incomplete or Inaccurate Transmission | PGAE | Fresno | 2018-11-22 | 4.1 - 13.6 | No | DEC | 3 | 43426.4479 | 43426.5417
7 | RT | Incomplete or Inaccurate Transmission | PGAE | Fresno | 2018-11-22 | 4.1 - 13.6 | No | INC | 7 | 43426.4479 | 43426.7083
8 | RT | Load Forecast Uncertainty | PGAE | Bay Area | 2018-11-07 | 141.02 | No | INC | 10 | 43411.5833 | 43412
9 | RT | Load Forecast Uncertainty | PGAE | Bay Area | 2018-11-09 | 120 | No | INC | 1 | 43413.3125 | 43413.3472
10 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2018-11-09 | 45.24 - 51.52 | No | INC | 1 | 43413.3125 | 43413.3472
11 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2018-11-12 | 20 - 194 | No | INC | 15 | 43416.375 | 43417
12 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2018-11-13 | 65 - 194 | No | INC | 9 | 43417.5 | 43417.875
13 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2018-11-14 | 65 - 194 | No | INC | 9 | 43418.5 | 43418.875
14 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2018-11-16 | 20 | Yes | INC | 24 | 43420 | 43421
15 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2018-11-19 | 20 - 98 | No | INC | 18 | 43423.25 | 43424
16 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2018-11-20 | 65 - 191 | No | INC | 5 | 43424.6042 | 43424.7917
17 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2018-11-21 | 190 | No | INC | 8 | 43425.5521 | 43425.875
18 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2018-11-24 | 190 | No | INC | 6 | 43428.6528 | 43428.875
19 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2018-11-29 | 190 - 194 | No | INC | 5 | 43433.6701 | 43433.875
20 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2018-11-30 | 190 - 194 | No | INC | 7 | 43434.5938 | 43434.875
21 | RT | Load Forecast Uncertainty | SDGE | San Diego-IV | 2018-11-08 | 20 | No | INC | 23 | 43412.0625 | 43413
22 | RT | Load Forecast Uncertainty | SDGE | San Diego-IV | 2018-11-12 | 20 - 68 | No | INC | 14 | 43416.3542 | 43416.9167
23 | RT | Load Pull | PGAE | Bay Area | 2018-11-17 | 23.6 | No | DEC | 1 | 43421.7083 | 43421.75
24 | RT | Load Pull | SCE | LA Basin | 2018-11-15 | 190 - 194 | No | INC | 3 | 43419.6944 | 43419.8125
25 | RT | Load Pull | SCE | LA Basin | 2018-11-19 | 65 - 190 | No | INC | 7 | 43423.5799 | 43423.8333
26 | RT | Market Disruption | PGAE | Bay Area | 2018-11-15 | 554 | No | DEC | 2 | 43419.75 | 43419.8021
27 | RT | Operating Procedure Number and Constraint (7110) | PGAE | Humboldt | 2018-11-02 | 32 | No | DEC | 5 | 43406.6667 | 43406.875
28 | RT | Operating Procedure Number and Constraint (7110) | PGAE | Humboldt | 2018-11-02 | 28 - 32 | No | INC | 18 | 43406.2674 | 43407
29 | RT | Operating Procedure Number and Constraint (7110) | PGAE | Humboldt | 2018-11-03 | 42 | No | DEC | 1 | 43407.8229 | 43407.8333
30 | RT | Operating Procedure Number and Constraint (7110) | PGAE | Humboldt | 2018-11-03 | 28 - 42 | No | INC | 23 | 43407 | 43407.9583
31 | RT | Operating Procedure Number and Constraint (7110) | PGAE | Humboldt | 2018-11-04 | 32 | No | INC | 4 | 43408.8576 | 43409
32 | RT | Operating Procedure Number and Constraint (7110) | PGAE | Humboldt | 2018-11-05 | 16 | No | DEC | 11 | 43409.0417 | 43409.5
33 | RT | Operating Procedure Number and Constraint (7110) | PGAE | Humboldt | 2018-11-05 | 15 - 32 | No | INC | 24 | 43409 | 43410
34 | RT | Operating Procedure Number and Constraint (7110) | PGAE | Humboldt | 2018-11-06 | 30 - 32 | No | INC | 18 | 43410.2778 | 43411
35 | RT | Operating Procedure Number and Constraint (7110) | PGAE | Humboldt | 2018-11-07 | 32 | No | INC | 3 | 43411.8924 | 43412
36 | RT | Operating Procedure Number and Constraint (7110) | PGAE | Humboldt | 2018-11-08 | 15 | No | DEC | 12 | 43412.5 | 43413
37 | RT | Operating Procedure Number and Constraint (7110) | PGAE | Humboldt | 2018-11-08 | 32 | No | INC | 12 | 43412 | 43412.5
38 | RT | Operating Procedure Number and Constraint (7110) | PGAE | Humboldt | 2018-11-09 | 15 - 32 | No | DEC | 17 | 43413 | 43413.6979
39 | RT | Operating Procedure Number and Constraint (7110) | PGAE | Humboldt | 2018-11-09 | 32 | No | INC | 15 | 43413.4132 | 43414
40 | RT | Operating Procedure Number and Constraint (7110) | PGAE | Humboldt | 2018-11-10 | 30 - 32 | No | INC | 23 | 43414 | 43414.9375
41 | RT | Operating Procedure Number and Constraint (7110) | PGAE | Humboldt | 2018-11-11 | 14 | No | INC | 1 | 43415.3438 | 43415.3542
42 | RT | Operating Procedure Number and Constraint (7110) | PGAE | Humboldt | 2018-11-12 | 32 | No | INC | 9 | 43416.2535 | 43416.625
43 | RT | Operating Procedure Number and Constraint (7110) | PGAE | Humboldt | 2018-11-13 | 32 | No | DEC | 3 | 43417.6667 | 43417.7917
44 | RT | Operating Procedure Number and Constraint (7110) | PGAE | Humboldt | 2018-11-13 | 32 | No | INC | 7 | 43417.375 | 43417.6667
45 | RT | Operating Procedure Number and Constraint (7110) | PGAE | Humboldt | 2018-11-15 | 30 - 42 | No | DEC | 8 | 43419.625 | 43419.9583
46 | RT | Operating Procedure Number and Constraint (7110) | PGAE | Humboldt | 2018-11-15 | 30 - 42 | No | INC | 17 | 43419.2951 | 43419.9896
47 | RT | Operating Procedure Number and Constraint (7110) | PGAE | Humboldt | 2018-11-17 | 32 | No | DEC | 1 | 43421.9444 | 43421.9583
48 | RT | Operating Procedure Number and Constraint (7110) | PGAE | Humboldt | 2018-11-17 | 32 | No | INC | 1 | 43421.9583 | 43422
49 | RT | Operating Procedure Number and Constraint (7110) | PGAE | Humboldt | 2018-11-18 | 16 | No | DEC | 8 | 43422.0312 | 43422.3333
50 | RT | Operating Procedure Number and Constraint (7110) | PGAE | Humboldt | 2018-11-18 | 32 | No | INC | 1 | 43422 | 43422.0312
51 | RT | Operating Procedure Number and Constraint (7110) | PGAE | Humboldt | 2018-11-25 | 30 | No | INC | 5 | 43429.7118 | 43429.9167
52 | RT | Operating Procedure Number and Constraint (7110) | PGAE | Humboldt | 2018-11-26 | 32 | No | DEC | 8 | 43430.625 | 43430.9583
53 | RT | Operating Procedure Number and Constraint (7110) | PGAE | Humboldt | 2018-11-26 | 32 | No | INC | 18 | 43430.2847 | 43431
54 | RT | Operating Procedure Number and Constraint (7110) | PGAE | Humboldt | 2018-11-27 | 16 | No | DEC | 4 | 43431.0312 | 43431.1979
55 | RT | Operating Procedure Number and Constraint (7110) | PGAE | Humboldt | 2018-11-27 | 0 - 32 | No | INC | 24 | 43431 | 43432
56 | RT | Operating Procedure Number and Constraint (7110) | PGAE | Humboldt | 2018-11-28 | 16 | No | DEC | 2 | 43432.0104 | 43432.0729
57 | RT | Operating Procedure Number and Constraint (7110) | PGAE | Humboldt | 2018-11-28 | 32 | No | INC | 1 | 43432 | 43432.0104
58 | RT | Operating Procedure Number and Constraint (7630) | SCE | LA Basin | 2018-11-15 | 65 | No | INC | 6 | 43419.566 | 43419.7917
59 | RT | Operating Procedure Number and Constraint (7720) | SCE | NA | 2018-11-01 | 475 | No | DEC | 4 | 43405.7083 | 43405.875
60 | RT | Operating Procedure Number and Constraint (7720) | SCE | NA | 2018-11-01 | 475 | No | INC | 1 | 43405.6771 | 43405.7083
61 | RT | Operating Procedure Number and Constraint (7720) | SCE | NA | 2018-11-02 | 477 | No | DEC | 1 | 43406.7917 | 43406.8333
62 | RT | Operating Procedure Number and Constraint (7720) | SCE | NA | 2018-11-02 | 477 - 482 | No | INC | 2 | 43406.8333 | 43406.9167
63 | RT | Operating Procedure Number and Constraint (7720) | SCE | NA | 2018-11-03 | 240 - 412 | No | DEC | 3 | 43407.75 | 43407.8542
64 | RT | Operating Procedure Number and Constraint (7720) | SCE | NA | 2018-11-04 | 475 - 480 | No | DEC | 2 | 43408.7083 | 43408.7708
65 | RT | Operating Procedure Number and Constraint (7720) | SCE | NA | 2018-11-05 | 465 | No | DEC | 7 | 43409.7083 | 43410
66 | RT | Operating Procedure Number and Constraint (7720) | SCE | NA | 2018-11-05 | 465 | No | INC | 6 | 43409.6597 | 43409.875
67 | RT | Operating Procedure Number and Constraint (7720) | SCE | NA | 2018-11-06 | 470 | No | DEC | 7 | 43410.7083 | 43411
68 | RT | Operating Procedure Number and Constraint (7720) | SCE | NA | 2018-11-06 | 470 | No | INC | 2 | 43410.625 | 43410.7083
69 | RT | Operating Procedure Number and Constraint (7720) | SCE | NA | 2018-11-07 | 475 | No | DEC | 7 | 43411.7083 | 43412
70 | RT | Operating Procedure Number and Constraint (7720) | SCE | NA | 2018-11-07 | 475 | No | INC | 1 | 43411.6667 | 43411.7083
71 | RT | Other Reliability Requirement | PGAE | Sierra | 2018-11-13 | 30 | No | DEC | 4 | 43417.3576 | 43417.5
72 | RT | Other Reliability Requirement | SCE | Big Creek-Ventura | 2018-11-13 | 500 | No | DEC | 1 | 43417.9688 | 43417.9896
73 | RT | Other Reliability Requirement | SCE | LA Basin | 2018-11-13 | 65 - 195 | No | INC | 1 | 43417.9583 | 43417.9896
74 | RT | Other Reliability Requirement | SCE | NA | 2018-11-13 | 500 | No | DEC | 1 | 43417.9688 | 43417.9896
75 | RT | Other Reliability Requirement | SCE | NA | 2018-11-17 | 475 | No | DEC | 1 | 43421.8333 | 43421.875
76 | RT | Other Reliability Requirement | SCE | NA | 2018-11-17 | 475 | No | INC | 3 | 43421.7465 | 43421.8333
77 | RT | Planned Transmission Outage | PGAE | Bay Area | 2018-11-30 | 54 | No | INC | 6 | 43434.4062 | 43434.625
78 | RT | Planned Transmission Outage | PGAE | Fresno | 2018-11-28 | 40 | No | DEC | 3 | 43432.6667 | 43432.7917
79 | RT | Planned Transmission Outage | PGAE | Fresno | 2018-11-28 | 40 - 98 | No | INC | 10 | 43432.5833 | 43433
80 | RT | Planned Transmission Outage | PGAE | Fresno | 2018-11-29 | 44 - 98 | No | INC | 5 | 43433 | 43433.2083
81 | RT | Planned Transmission Outage | PGAE | Humboldt | 2018-11-01 | 32 | No | DEC | 6 | 43405.6667 | 43405.9167
82 | RT | Planned Transmission Outage | PGAE | Humboldt | 2018-11-01 | 28 - 32 | No | INC | 18 | 43405.2674 | 43406
83 | RT | Planned Transmission Outage | PGAE | Humboldt | 2018-11-02 | 28 | No | INC | 2 | 43406 | 43406.0833
84 | RT | Planned Transmission Outage | PGAE | Humboldt | 2018-11-04 | 32 | No | INC | 13 | 43408.3229 | 43408.8333
85 | RT | Planned Transmission Outage | PGAE | Humboldt | 2018-11-06 | 42 | No | INC | 8 | 43410.3403 | 43410.6667
86 | RT | Planned Transmission Outage | PGAE | Humboldt | 2018-11-07 | 28 | No | INC | 15 | 43411.2535 | 43411.875
87 | RT | Planned Transmission Outage | PGAE | Humboldt | 2018-11-10 | 30 | No | INC | 2 | 43414.9167 | 43415
88 | RT | Planned Transmission Outage | PGAE | Humboldt | 2018-11-11 | 14 - 30 | No | INC | 24 | 43415 | 43416
89 | RT | Planned Transmission Outage | PGAE | Humboldt | 2018-11-12 | 32 | No | DEC | 1 | 43416.941 | 43416.9583
90 | RT | Planned Transmission Outage | PGAE | Humboldt | 2018-11-12 | 14 - 32 | No | INC | 24 | 43416 | 43417
91 | RT | Planned Transmission Outage | PGAE | Humboldt | 2018-11-13 | 16 | No | DEC | 2 | 43417.066 | 43417.125
92 | RT | Planned Transmission Outage | PGAE | Humboldt | 2018-11-13 | 32 | No | INC | 2 | 43417 | 43417.0625
93 | RT | Planned Transmission Outage | PGAE | Humboldt | 2018-11-14 | 14 | No | DEC | 6 | 43418.0417 | 43418.2674
94 | RT | Planned Transmission Outage | PGAE | Humboldt | 2018-11-14 | 30 - 45 | No | INC | 21 | 43418 | 43418.8646
95 | RT | Planned Transmission Outage | PGAE | NA | 2018-11-03 | 30 - 46 | No | INC | 6 | 43407.7292 | 43407.9583
96 | RT | Planned Transmission Outage | PGAE | NA | 2018-11-04 | 30 | No | INC | 5 | 43408 | 43408.1458
97 | RT | Planned Transmission Outage | PGAE | NA | 2018-11-06 | 32 | No | INC | 12 | 43410.5312 | 43411
98 | RT | Planned Transmission Outage | PGAE | NA | 2018-11-07 | 32 | Yes | INC | 24 | 43411 | 43412
99 | RT | Planned Transmission Outage | PGAE | NA | 2018-11-08 | 32 | Yes | INC | 24 | 43412 | 43413
100 | RT | Planned Transmission Outage | PGAE | NA | 2018-11-09 | 32 | Yes | INC | 24 | 43413 | 43414
101 | RT | Planned Transmission Outage | PGAE | NA | 2018-11-10 | 32 | No | INC | 24 | 43414 | 43415
102 | RT | Planned Transmission Outage | PGAE | NA | 2018-11-11 | 32 | Yes | INC | 24 | 43415 | 43416
103 | RT | Planned Transmission Outage | PGAE | NA | 2018-11-12 | 32 | Yes | INC | 24 | 43416 | 43417
104 | RT | Planned Transmission Outage | PGAE | NA | 2018-11-13 | 32 | Yes | INC | 24 | 43417 | 43418
105 | RT | Planned Transmission Outage | PGAE | NA | 2018-11-14 | 32 | No | INC | 12 | 43418 | 43418.4896
106 | RT | Planned Transmission Outage | PGAE | Sierra | 2018-11-12 | 42 | No | INC | 9 | 43416.4583 | 43416.8333
107 | RT | Planned Transmission Outage | PGAE | Sierra | 2018-11-13 | 42 | No | INC | 4 | 43417.2917 | 43417.4583
108 | RT | Planned Transmission Outage | PGAE | Sierra | 2018-11-15 | 24 | No | DEC | 4 | 43419.625 | 43419.7917
109 | RT | Planned Transmission Outage | PGAE | Sierra | 2018-11-15 | 24 | No | INC | 3 | 43419.5 | 43419.625
110 | RT | Planned Transmission Outage | PGAE | Sierra | 2018-11-16 | 5 - 15 | No | INC | 4 | 43420.2396 | 43420.3958
111 | RT | Planned Transmission Outage | PGAE | Stockton | 2018-11-03 | 50 - 67 | No | INC | 6 | 43407.7188 | 43407.9583
112 | RT | Planned Transmission Outage | PGAE | Stockton | 2018-11-04 | 10 - 30 | No | INC | 4 | 43408 | 43408.1146
113 | RT | Planned Transmission Outage | PGAE | Stockton | 2018-11-28 | 34 - 200 | No | DEC | 17 | 43432.2083 | 43432.9167
114 | RT | Planned Transmission Outage | PGAE | Stockton | 2018-11-28 | 34 - 200 | No | INC | 23 | 43432.0278 | 43432.9583
115 | RT | Planned Transmission Outage | SCE | Big Creek-Ventura | 2018-11-14 | 54 | No | INC | 2 | 43418.75 | 43418.8333
116 | RT | Planned Transmission Outage | SCE | LA Basin | 2018-11-01 | 46 - 247.1 | Yes | INC | 2 | 43405.8785 | 43405.9375
117 | RT | Planned Transmission Outage | SCE | LA Basin | 2018-11-03 | 10 - 20 | Yes | INC | 19 | 43407.1875 | 43407.9583
118 | RT | Planned Transmission Outage | SCE | LA Basin | 2018-11-04 | 10 - 20 | Yes | INC | 25 | 43408 | 43409
119 | RT | Planned Transmission Outage | SCE | LA Basin | 2018-11-05 | 10 - 70 | Yes | INC | 24 | 43409 | 43410
120 | RT | Planned Transmission Outage | SCE | LA Basin | 2018-11-06 | 70 | No | INC | 2 | 43410 | 43410.0833
121 | RT | Planned Transmission Outage | SCE | LA Basin | 2018-11-12 | 10 - 20 | No | INC | 2 | 43416.934 | 43417
122 | RT | Planned Transmission Outage | SCE | LA Basin | 2018-11-13 | 10 - 20 | No | INC | 24 | 43417 | 43418
123 | RT | Planned Transmission Outage | SCE | LA Basin | 2018-11-14 | 10 - 20 | No | INC | 24 | 43418 | 43419
124 | RT | Planned Transmission Outage | SCE | NA | 2018-11-01 | 68 | No | DEC | 6 | 43405.4688 | 43405.7083
125 | RT | Planned Transmission Outage | SCE | NA | 2018-11-07 | 125 - 300 | No | INC | 7 | 43411.3333 | 43411.625
126 | RT | Planned Transmission Outage | SCE | NA | 2018-11-13 | 200 | No | DEC | 24 | 43417 | 43418
127 | RT | Planned Transmission Outage | SCE | NA | 2018-11-14 | 125.1 - 200 | No | DEC | 24 | 43418 | 43419
128 | RT | Planned Transmission Outage | SCE | NA | 2018-11-14 | 150 | No | INC | 6 | 43418.4028 | 43418.625
129 | RT | Planned Transmission Outage | SCE | NA | 2018-11-15 | 125.1 - 200 | No | DEC | 24 | 43419 | 43420
130 | RT | Planned Transmission Outage | SCE | NA | 2018-11-16 | 200 | No | DEC | 24 | 43420 | 43421
131 | RT | Planned Transmission Outage | SCE | NA | 2018-11-17 | 200 | No | DEC | 24 | 43421 | 43422
132 | RT | Planned Transmission Outage | SCE | NA | 2018-11-18 | 200 | No | DEC | 24 | 43422 | 43423
133 | RT | Planned Transmission Outage | SCE | NA | 2018-11-19 | 200 | No | DEC | 24 | 43423 | 43424
134 | RT | Planned Transmission Outage | SCE | NA | 2018-11-20 | 200 | No | DEC | 24 | 43424 | 43425
135 | RT | Planned Transmission Outage | SCE | NA | 2018-11-21 | 200 | No | DEC | 18 | 43425 | 43425.7396
136 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2018-11-01 | 20 - 270 | No | INC | 17 | 43405.2292 | 43405.9167
137 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2018-11-05 | 20 | No | INC | 2 | 43409.1875 | 43409.25
138 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2018-11-06 | 20 - 155 | No | INC | 22 | 43410.0833 | 43411
139 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2018-11-07 | 20 - 68 | No | INC | 24 | 43411 | 43412
140 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2018-11-08 | 20 - 68 | No | INC | 22 | 43412 | 43412.9167
141 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2018-11-19 | 30 | No | DEC | 2 | 43423.7083 | 43423.7917
142 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2018-11-19 | 30 | No | INC | 1 | 43423.6875 | 43423.7083
143 | RT | Software Limitation | PGAE | Bay Area | 2018-11-01 | 0 | No | INC | 1 | 43405 | 43405.0278
144 | RT | Software Limitation | PGAE | Humboldt | 2018-11-01 | 32.1 | No | INC | 1 | 43405.9792 | 43406
145 | RT | Software Limitation | PGAE | NA | 2018-11-02 | 0 | No | DEC | 1 | 43406.8542 | 43406.8819
146 | RT | Software Limitation | SCE | LA Basin | 2018-11-09 | 152 | No | INC | 2 | 43413.3993 | 43413.4583
147 | RT | Software Limitation | SDGE | San Diego-IV | 2018-11-05 | 63 | No | INC | 3 | 43409.25 | 43409.375
148 | RT | Unit Testing | SDGE | NA | 2018-11-06 | 220 - 330 | No | INC | 2 | 43410.5451 | 43410.625
149 | RT | Unit Testing | SDGE | NA | 2018-11-07 | 162 - 330 | No | INC | 6 | 43411.434 | 43411.6667
150 | RT | Unit Testing | SDGE | NA | 2018-11-15 | 24 - 422 | No | INC | 13 | 43419.2986 | 43419.8125
151 | RT | Unit Testing | SDGE | NA | 2018-11-16 | 105 - 422 | No | INC | 4 | 43420.6528 | 43420.8125
152 | RT | Unit Testing | SDGE | NA | 2018-11-17 | 105 - 422 | No | INC | 13 | 43421.3125 | 43421.8229
153 | RT | Unit Testing | SDGE | NA | 2018-11-18 | 105 - 422 | No | INC | 10 | 43422.5312 | 43422.9271
154 | RT | Unit Testing | SDGE | NA | 2018-11-19 | 315 - 422 | No | INC | 6 | 43423.4167 | 43423.6667
155 | RT | Unit Testing | SDGE | NA | 2018-11-20 | 48 - 320 | No | INC | 10 | 43424.2917 | 43424.6736
156 | RT | Unit Testing | SDGE | NA | 2018-11-26 | 105 - 422 | No | INC | 10 | 43430.4688 | 43430.8542
157 | RT | Unit Testing | SDGE | NA | 2018-11-27 | 400 | No | DEC | 1 | 43431.75 | 43431.7917
158 | RT | Unit Testing | SDGE | NA | 2018-11-27 | 100 - 400 | Yes | INC | 17 | 43431.25 | 43431.9479
159 | RT | Unit Testing | SDGE | NA | 2018-11-28 | 100 - 400 | Yes | INC | 7 | 43432.2604 | 43432.5417
160 | RT | Unit Testing | SDGE | NA | 2018-11-30 | 100 | No | INC | 3 | 43434.5833 | 43434.7083
161 | RT | Unplanned Outage | PGAE | Sierra | 2018-11-08 | 42 | Yes | INC | 1 | 43412.9583 | 43413
162 | RT | Unplanned Outage | PGAE | Sierra | 2018-11-09 | 42 | No | INC | 7 | 43413 | 43413.2917
163 | RT | Unplanned Outage | SDGE | San Diego-IV | 2018-11-08 | 20 | No | INC | 2 | 43412.9167 | 43413
164 | RT | Unplanned Outage | SDGE | San Diego-IV | 2018-11-09 | 20 - 290 | No | INC | 24 | 43413 | 43414
165 | RT | Unplanned Outage | SDGE | San Diego-IV | 2018-11-10 | 20 | No | INC | 22 | 43414 | 43414.9167
166 | RT | Voltage Support | PGAE | Fresno | 2018-11-17 | 83 | No | INC | 1 | 43421.9722 | 43421.9792
167 | RT | Voltage Support | PGAE | Fresno | 2018-11-18 | 83 | No | INC | 8 | 43422 | 43422.3333
168 | RT | Voltage Support | PGAE | Fresno | 2018-11-28 | -308 | No | DEC | 4 | 43432.0868 | 43432.2292
169 | RT | Voltage Support | PGAE | Sierra | 2018-11-17 | 1 - 25 | Yes | INC | 5 | 43421.0833 | 43421.2917
170 | RT | Voltage Support | SCE | NA | 2018-11-01 | 200 | No | DEC | 24 | 43405 | 43406
171 | RT | Voltage Support | SCE | NA | 2018-11-02 | 200 | No | DEC | 24 | 43406 | 43407
172 | RT | Voltage Support | SCE | NA | 2018-11-05 | 200 | No | DEC | 7 | 43409.7222 | 43410
173 | RT | Voltage Support | SCE | NA | 2018-11-06 | 200 | No | DEC | 24 | 43410 | 43411
174 | RT | Voltage Support | SCE | NA | 2018-11-07 | 200 | No | DEC | 10 | 43411.5833 | 43412
175 | RT | Voltage Support | SCE | NA | 2018-11-07 | 200 | No | INC | 14 | 43411 | 43411.5833
176 | RT | Voltage Support | SCE | NA | 2018-11-08 | 200 | No | DEC | 24 | 43412 | 43413
177 | RT | Voltage Support | SCE | NA | 2018-11-09 | 200 | No | DEC | 24 | 43413 | 43414
178 | RT | Voltage Support | SCE | NA | 2018-11-10 | 200 | No | DEC | 24 | 43414 | 43415
179 | RT | Voltage Support | SCE | NA | 2018-11-11 | 200 | No | DEC | 24 | 43415 | 43416
180 | RT | Voltage Support | SCE | NA | 2018-11-12 | 200 | No | DEC | 24 | 43416 | 43417