## Table 2
California Independent System Operator Corporation Exceptional Dispatch Report
Chart 2: Table of Exceptional Dispatches for December 2018
Number | Market Type | Reason | Location | Local Reliability Area | Trade Date | MW | Commitment | INC_DEC | Hours | Begin Time | End Time | Total MWH | Min Load cost | Startup Cost | CC6470 | ED MWH (INC/DEC) | CC6470 INC | CC6470 DEC | CC6482 | CC6488 | CC6620
1 | RT | Fast Start Unit Management | PGAE | NA | 2018-12-06 | 307 | No | DEC | 1 | 43440.625 | 43440.6667 | 84.6946 | 0.00039062 | 0 | -4172.5059 | 1.43 | -79.0218 | 0 | 0 | 0 | 0
2 | RT | Fast Start Unit Management | PGAE | NA | 2018-12-06 | 47 - 307 | No | INC | 5 | 43440.4271 | 43440.625 | 190.1667 | 76550.0166 | 1271.7166 | -13585.6692 | 0 | 0 | 0 | 0 | 0 | 0
3 | RT | Fast Start Unit Management | PGAE | NA | 2018-12-17 | 46.78 | No | INC | 6 | 43451.4375 | 43451.6667 | 32.7812 | 17666.4999 | 343.0317 | -1819.1167 | 0 | 0 | 0 | 0 | 0 | 0
4 | RT | Incomplete or Inaccurate Transmission | PGAE | Humboldt | 2018-12-27 | 28 | No | INC | 5 | 43461.4271 | 43461.6354 | -6.1337 | -3859.9925 | 0 | 246.076 | 0 | 0 | 0 | 0 | 0 | 0
5 | RT | Incomplete or Inaccurate Transmission | SDGE | San Diego-IV | 2018-12-07 | 100 | No | INC | 1 | 43441.4583 | 43441.4792 | 31.5 | 0 | 0 | -1530.3219 | 0 | 0 | 0 | 0 | 0 | 0
6 | RT | Load Forecast Uncertainty | PGAE | Bay Area | 2018-12-01 | 120 - 175 | Yes | INC | 12 | 43435.4201 | 43435.9167 | 1564.5143 | 221625.72 | 48153.4805 | -122716.3681 | 837.5 | -67460.0219 | 0 | -641.9996 | 0 | 0
7 | RT | Load Forecast Uncertainty | PGAE | NA | 2018-12-02 | 140 | Yes | INC | 13 | 43436.4792 | 43437 | 2.4746 | 159940.7471 | 29825.2891 | -611.6912 | 0 | 0 | 0 | 0 | 0 | 0
8 | RT | Load Forecast Uncertainty | PGAE | NA | 2018-12-10 | 200 - 380 | No | INC | 2 | 43444.3403 | 43444.4167 | 187.6144 | 9293.6707 | 0 | -30488.1258 | 5 | -304.7169 | 0 | -429.1513 | 0 | 0
9 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2018-12-01 | 48.27 - 194 | No | INC | 11 | 43435.4201 | 43435.875 | 137.0243 | 3528.7 | 0 | -6884.2379 | 70.3439 | -5942.5066 | 0 | -510027.0013 | 0 | 0
10 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2018-12-02 | 190 - 194 | No | INC | 7 | 43436.5938 | 43436.875 | 27.8383 | 0 | 0 | -1282.1839 | 38.6526 | -1788.7602 | 0 | -610913.9821 | 0 | 0
11 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2018-12-03 | 190 - 194 | No | INC | 6 | 43437.5868 | 43437.8333 | 83.4857 | 0 | 0 | -3567.8139 | 82.8485 | -3454.7488 | 0 | -559055.4868 | 0 | 0
12 | RT | Load Forecast Uncertainty | SCE | NA | 2018-12-01 | 125 | No | INC | 8 | 43435.5833 | 43435.9167 | 307.8653 | 86343.6968 | 0 | -20605.9023 | 0 | 0 | 0 | 0 | 0 | 0
13 | RT | Load Forecast Uncertainty | SDGE | San Diego-IV | 2018-12-01 | 225 | No | INC | 10 | 43435.5833 | 43436 | -52.7973 | 197802.6953 | 48299.2109 | 4077.8597 | 0 | 0 | 0 | 0 | 0 | 0
14 | RT | Load Forecast Uncertainty | SDGE | San Diego-IV | 2018-12-02 | 20 - 225 | No | INC | 24 | 43436 | 43437 | 314.6521 | 271657.9142 | 48299.2109 | -33048.8272 | 1.7404 | -199.447 | 0 | -78.7354 | 0 | 0
15 | RT | Load Forecast Uncertainty | SDGE | San Diego-IV | 2018-12-03 | 155 - 225 | Yes | INC | 24 | 43437 | 43438 | -30.2659 | 283575.9609 | 0 | 3053.6165 | 0 | 0 | 0 | 0 | 0 | 0
16 | RT | Operating Procedure Number and Constraint (7110) | PGAE | Humboldt | 2018-12-06 | 32 | No | DEC | 1 | 43440.9444 | 43440.9583 | 3.3741 | -1.9532e-05 | 0 | -187.8053 | 0 | 0 | 0 | 0 | 0 | 0
17 | RT | Operating Procedure Number and Constraint (7110) | PGAE | Humboldt | 2018-12-06 | 32 | No | INC | 1 | 43440.9583 | 43441 | 15.9685 | 0 | 0 | -1005.512 | 0 | 0 | 0 | 0 | 0 | 0
18 | RT | Operating Procedure Number and Constraint (7110) | PGAE | Humboldt | 2018-12-07 | 16 | No | DEC | 8 | 43441.0417 | 43441.3438 | 43.4117 | -8296.1754 | 0 | -2564.6274 | 0 | 0 | 0 | 0 | 0 | 0
19 | RT | Operating Procedure Number and Constraint (7110) | PGAE | Humboldt | 2018-12-07 | 32 | No | INC | 13 | 43441 | 43441.5104 | 17.8145 | -5435.4252 | 0 | -736.2461 | 1.8313 | -119.8979 | 0 | 0 | 0 | 0
20 | RT | Operating Procedure Number and Constraint (7110) | PGAE | Humboldt | 2018-12-08 | 42 | No | INC | 2 | 43442.9167 | 43443 | 13.527 | 0 | 0 | -791.6436 | 0 | 0 | 0 | 0 | 0 | 0
21 | RT | Operating Procedure Number and Constraint (7110) | PGAE | Humboldt | 2018-12-09 | 16 - 32 | No | INC | 15 | 43443 | 43443.625 | 34.6317 | 0 | 0 | -1569.7139 | 2.4673 | -110.8363 | 0 | 0 | 0 | 0
22 | RT | Operating Procedure Number and Constraint (7110) | PGAE | Humboldt | 2018-12-10 | 30 | No | INC | 2 | 43444.9167 | 43444.9792 | 0.56202 | -1544.1 | 0 | -26.8891 | 1.5 | -109.7373 | 0 | 0 | 0 | 0
23 | RT | Operating Procedure Number and Constraint (7110) | PGAE | Humboldt | 2018-12-12 | 32 - 42 | No | INC | 17 | 43446.316 | 43447 | 32.2722 | -7855.5675 | 0 | -1232.4884 | 14.2245 | -475.5943 | 0 | 0 | 0 | 0
24 | RT | Operating Procedure Number and Constraint (7110) | PGAE | Humboldt | 2018-12-13 | 28 - 42 | No | INC | 24 | 43447 | 43448 | 8.9943 | -2571.57 | 0 | -390.4739 | 0 | 0 | 0 | 0 | 0 | 0
25 | RT | Operating Procedure Number and Constraint (7110) | PGAE | Humboldt | 2018-12-14 | 14 | No | DEC | 1 | 43448.0104 | 43448.0312 | -6.5527 | -221.6775 | 0 | 356.5091 | -0.49656 | 0 | 8.094 | 0 | 0 | 0
26 | RT | Operating Procedure Number and Constraint (7110) | PGAE | Humboldt | 2018-12-14 | 28 | No | INC | 1 | 43448 | 43448.0104 | -2.3333 | -221.6775 | 0 | 88.0544 | -0.29167 | 0 | 0 | 0 | 0 | 0
27 | RT | Operating Procedure Number and Constraint (7110) | PGAE | Humboldt | 2018-12-15 | 30 | No | INC | 8 | 43449.7014 | 43450 | 13.2438 | -5901.6302 | 0 | -650.0692 | 8.1444 | -395.8899 | 0 | 0 | 0 | 0
28 | RT | Operating Procedure Number and Constraint (7110) | PGAE | Humboldt | 2018-12-16 | 32 | No | INC | 13 | 43450.4861 | 43451 | 29.3513 | -10273.585 | 0 | -1731.9027 | 22.3163 | -1115.7036 | 0 | 0 | 0 | 0
29 | RT | Operating Procedure Number and Constraint (7110) | PGAE | Humboldt | 2018-12-17 | 15 | No | DEC | 9 | 43451.0312 | 43451.3958 | 13.4955 | -7338.275 | 0 | -581.4763 | 0 | 0 | 0 | 0 | 0 | 0
30 | RT | Operating Procedure Number and Constraint (7110) | PGAE | Humboldt | 2018-12-17 | 28 - 32 | No | INC | 15 | 43451 | 43451.625 | 7.3779 | -5241.625 | 0 | -282.1036 | 1.155 | -51.8583 | 0 | 0 | 0 | 0
31 | RT | Operating Procedure Number and Constraint (7110) | PGAE | Humboldt | 2018-12-18 | 32 | No | INC | 1 | 43452.2882 | 43452.2917 | 0.11396 | -69.7125 | 0 | -4.4085 | 0.10833 | -4.2827 | 0 | 0 | 0 | 0
32 | RT | Operating Procedure Number and Constraint (7110) | PGAE | Humboldt | 2018-12-19 | 42 | No | DEC | 1 | 43453.8924 | 43453.9167 | 1.337 | 0 | 0 | -46.4373 | 0 | 0 | 0 | 0 | 0 | 0
33 | RT | Operating Procedure Number and Constraint (7110) | PGAE | Humboldt | 2018-12-19 | 42 | No | INC | 2 | 43453.9167 | 43454 | 4.5805 | -1669.22 | 0 | -178.5545 | 0 | 0 | 0 | 0 | 0 | 0
34 | RT | Operating Procedure Number and Constraint (7110) | PGAE | Humboldt | 2018-12-20 | 30 - 42 | No | INC | 20 | 43454 | 43454.8333 | -2.5566 | -5274.5 | 0 | 105.4091 | 0.5 | -18.6544 | 0 | 0 | 0 | 0
35 | RT | Operating Procedure Number and Constraint (7110) | PGAE | Humboldt | 2018-12-22 | 32 | No | INC | 14 | 43456.3438 | 43456.9167 | 27.8296 | -11016.9451 | 0 | -1027.8843 | 26.8521 | -992.0034 | 0 | 0 | 0 | 0
36 | RT | Operating Procedure Number and Constraint (7110) | PGAE | Humboldt | 2018-12-23 | 32 | No | INC | 7 | 43457.7326 | 43457.9965 | 14.7038 | -5023.5517 | 0 | -605.6453 | 13.6363 | -564.3994 | 0 | 0 | 0 | 0
37 | RT | Operating Procedure Number and Constraint (7110) | PGAE | Humboldt | 2018-12-26 | 15 | No | DEC | 2 | 43460.9236 | 43461 | -0.9775 | -67.8858 | 0 | 93.7749 | 0 | 0 | 0 | 0 | 0 | 0
38 | RT | Operating Procedure Number and Constraint (7110) | PGAE | Humboldt | 2018-12-26 | 30 | No | INC | 6 | 43460.6979 | 43460.9167 | 4.7185 | 2443.89 | 0 | -182.8072 | 0.5 | -20.3319 | 0 | 0 | 0 | 0
39 | RT | Operating Procedure Number and Constraint (7110) | PGAE | Humboldt | 2018-12-28 | 32 | No | INC | 6 | 43462.3264 | 43462.5417 | 22.145 | -3787.745 | 0 | -644.3349 | 11.235 | -313.3068 | 0 | 0 | 0 | 0
40 | RT | Operating Procedure Number and Constraint (7110) | PGAE | Humboldt | 2018-12-29 | 14 | No | INC | 13 | 43463.2917 | 43463.8333 | 22.7415 | 0 | 0 | -646.5531 | 0 | 0 | 0 | 0 | 0 | 0
41 | RT | Operating Procedure Number and Constraint (7110) | PGAE | Humboldt | 2018-12-30 | 15 | No | INC | 4 | 43464.7396 | 43464.875 | 12.5134 | 0 | 0 | -385.7912 | 0.83333 | -26.9669 | 0 | 0 | 0 | 0
42 | RT | Operating Procedure Number and Constraint (7110) | PGAE | Humboldt | 2018-12-31 | 15 | No | INC | 4 | 43465.7222 | 43465.875 | 1.5853 | 2789.78 | 0 | -62.5158 | 0 | 0 | 0 | 0 | 0 | 0
43 | RT | Operating Procedure Number and Constraint (7720) | SCE | NA | 2018-12-02 | 455 | No | DEC | 5 | 43436.7674 | 43436.9583 | -17.1717 | 0 | 0 | 1492.6475 | -11.4583 | 0 | 866.5937 | 0 | 0 | 0
44 | RT | Operating Procedure Number and Constraint (7720) | SCE | NA | 2018-12-02 | 455 | No | INC | 3 | 43436.875 | 43437 | 19.0685 | 0 | 0 | -1489.947 | 0 | 0 | 0 | 0 | 0 | 0
45 | RT | Operating Procedure Number and Constraint (7720) | SCE | NA | 2018-12-12 | 450 - 475 | No | DEC | 4 | 43446.7083 | 43446.875 | -30.917 | 0 | 0 | 863.7654 | -23.6921 | 0 | 841.6052 | 0 | 0 | 0
46 | RT | Operating Procedure Number and Constraint (7720) | SCE | NA | 2018-12-12 | 450 | No | INC | 1 | 43446.6771 | 43446.7083 | -61.106 | 1636.9225 | 0 | 2326.4995 | 0 | 0 | 0 | 0 | 0 | 0
47 | RT | Operating Procedure Number and Constraint (7720) | SCE | NA | 2018-12-13 | 465 - 475 | No | DEC | 4 | 43447.7257 | 43447.875 | 87.5129 | -34573.2926 | 0 | -3298.9351 | 0 | 0 | 0 | 0 | 0 | 0
48 | RT | Operating Procedure Number and Constraint (7720) | SCE | NA | 2018-12-13 | 465 | No | INC | 1 | 43447.875 | 43447.9062 | -0.87851 | -0.00015625 | 0 | 43.6238 | 0 | 0 | 0 | 0 | 0 | 0
49 | RT | Operating Procedure Number and Constraint (7720) | SCE | NA | 2018-12-15 | 475 | No | INC | 6 | 43449.6632 | 43449.8958 | 23.4046 | 152.291 | 0 | -884.9629 | 0 | 0 | 0 | 0 | 0 | 0
50 | RT | Operating Procedure Number and Constraint (7720) | SCE | NA | 2018-12-16 | 475 | No | DEC | 4 | 43450.7083 | 43450.875 | -4.7187 | -9911.3183 | 0 | 315.9616 | 0 | 0 | 0 | 0 | 0 | 0
51 | RT | Operating Procedure Number and Constraint (7720) | SCE | NA | 2018-12-16 | 475 | No | INC | 6 | 43450.6667 | 43450.9167 | -18.9352 | 4835.8089 | 0 | 811.3943 | 0 | 0 | 0 | 0 | 0 | 0
52 | RT | Operating Procedure Number and Constraint (7720) | SCE | NA | 2018-12-19 | 430 - 470 | No | DEC | 7 | 43453.6667 | 43453.9583 | -46.8808 | -17379.4171 | 0 | 1425.1867 | -19.6875 | 0 | 676.2275 | 0 | 0 | 0
53 | RT | Operating Procedure Number and Constraint (7720) | SCE | NA | 2018-12-19 | 430 - 470 | No | INC | 8 | 43453.6458 | 43453.9792 | -2.8687 | 2752.6848 | 0 | 116.8512 | 0 | 0 | 0 | 0 | 0 | 0
54 | RT | Operating Procedure Number and Constraint (7720) | SCE | NA | 2018-12-20 | 450 - 460 | No | DEC | 5 | 43454.7326 | 43454.9167 | -14.9061 | -11536.6973 | 0 | 290.9574 | -2.8438 | 0 | 112.1006 | 0 | 0 | 0
55 | RT | Operating Procedure Number and Constraint (7720) | SCE | NA | 2018-12-21 | 450 - 475 | No | INC | 7 | 43455.7118 | 43456 | 13.9426 | 0 | 0 | -431.7093 | 0 | 0 | 0 | 0 | 0 | 0
56 | RT | Operating Procedure Number and Constraint (7720) | SCE | NA | 2018-12-23 | 460 | No | INC | 4 | 43457.6667 | 43457.8333 | -23.0404 | 2748.7083 | 0 | 610.656 | 0 | 0 | 0 | 0 | 0 | 0
57 | RT | Operating Procedure Number and Constraint (7720) | SCE | NA | 2018-12-27 | 460 | No | INC | 5 | 43461.7257 | 43461.8958 | 14.7878 | -0.00079752 | 0 | -524.8025 | 0 | 0 | 0 | 0 | 0 | 0
58 | RT | Operating Procedure Number and Constraint (7720) | SCE | NA | 2018-12-29 | 465 | No | DEC | 4 | 43463.7083 | 43463.875 | -35.7715 | 0 | 0 | 1820.5802 | -0.49656 | 0 | 17.4049 | 0 | 0 | 0
59 | RT | Other Reliability Requirement | PGAE | Humboldt | 2018-12-04 | 84 | No | DEC | 6 | 43438.1181 | 43438.3333 | -8.7963 | -0.00070637 | 0 | 188.7854 | -8.9381 | 0 | 194.583 | 0 | 0 | 0
60 | RT | Other Reliability Requirement | PGAE | Humboldt | 2018-12-10 | 32 | No | DEC | 1 | 43444.625 | 43444.6667 | -0.029583 | -5.8596e-05 | 0 | 8.2554 | 0 | 0 | 0 | 0 | 0 | 0
61 | RT | Other Reliability Requirement | PGAE | Humboldt | 2018-12-10 | 32 | No | INC | 8 | 43444.3229 | 43444.625 | 16.2363 | -7205.8002 | 0 | -4435.565 | 13.3217 | -1885.7211 | 0 | 0 | 0 | 0
62 | RT | Other Reliability Requirement | PGAE | Humboldt | 2018-12-11 | 32 | No | DEC | 2 | 43445.6667 | 43445.75 | 0.34667 | 0 | 0 | -7.3248 | 0 | 0 | 0 | 0 | 0 | 0
63 | RT | Other Reliability Requirement | PGAE | Humboldt | 2018-12-11 | 32 | No | INC | 9 | 43445.309 | 43445.6667 | 32.4606 | -7398.2626 | 0 | -1453.8315 | 17.8042 | -774.3147 | 0 | 0 | 0 | 0
64 | RT | Other Reliability Requirement | PGAE | Humboldt | 2018-12-14 | 32 | No | INC | 2 | 43448.9167 | 43449 | 8.3025 | -1330.065 | 0 | -417.0201 | 4.39 | -202.6337 | 0 | 0 | 0 | 0
65 | RT | Other Reliability Requirement | PGAE | Humboldt | 2018-12-15 | 32 | No | INC | 2 | 43449 | 43449.0833 | 3.285 | -1686.1801 | 0 | -119.1585 | 3.285 | -119.1585 | 0 | 0 | 0 | 0
66 | RT | Other Reliability Requirement | SDGE | San Diego-IV | 2018-12-04 | 155 | No | INC | 10 | 43438.5833 | 43439 | -28.4375 | 230365.2929 | 33601.5703 | 1828.0894 | 0 | 0 | 0 | 0 | 0 | 0
67 | RT | Planned Transmission Outage | PGAE | Bay Area | 2018-12-20 | 175 | No | INC | 8 | 43454.2917 | 43454.625 | 194.2656 | 72117.2014 | 38920.0508 | -7071.3859 | 0 | 0 | 0 | 0 | 0 | 0
68 | RT | Planned Transmission Outage | PGAE | Fresno | 2018-12-11 | 134 | No | DEC | 1 | 43445.8819 | 43445.9167 | -7.5978 | 0 | 0 | 384.5641 | -7.5978 | 0 | 384.5641 | 0 | -187.8346 | 0
69 | RT | Planned Transmission Outage | PGAE | Humboldt | 2018-12-07 | 64 | No | DEC | 3 | 43441.5833 | 43441.6979 | 0.10195 | -1036.4769 | 0 | -2.02 | 0 | 0 | 0 | 0 | -289.8992 | 0
70 | RT | Planned Transmission Outage | PGAE | Humboldt | 2018-12-07 | 64 | No | INC | 2 | 43441.5104 | 43441.5833 | 33.9544 | -2574.6701 | 0 | -1702.0213 | 9.5394 | -471.4632 | 0 | 0 | 0 | 0
71 | RT | Planned Transmission Outage | PGAE | Humboldt | 2018-12-08 | 45 | No | DEC | 2 | 43442.625 | 43442.6771 | -0.19034 | -4.8828e-05 | 0 | 31.3258 | 0 | 0 | 0 | 0 | 0 | 0
72 | RT | Planned Transmission Outage | PGAE | Humboldt | 2018-12-08 | 45 | No | INC | 8 | 43442.2917 | 43442.625 | 20.2602 | -7960.8 | 0 | -857.2969 | 7.4375 | -305.1848 | 0 | 0 | -10.2048 | 0
73 | RT | Planned Transmission Outage | PGAE | Humboldt | 2018-12-17 | 32 | No | DEC | 1 | 43451.8924 | 43451.9167 | 0.67229 | -2.5634e-05 | 0 | -22.8866 | 0 | 0 | 0 | 0 | 0 | 0
74 | RT | Planned Transmission Outage | PGAE | Humboldt | 2018-12-17 | 32 | No | INC | 2 | 43451.9167 | 43452 | 6.0131 | -838.66 | 0 | -205.6682 | 6.0075 | -205.4486 | 0 | 0 | 0 | 0
75 | RT | Planned Transmission Outage | PGAE | Humboldt | 2018-12-18 | 32 | No | INC | 8 | 43452 | 43452.3021 | 17.0858 | -6064.9875 | 0 | -568.9242 | 16.1044 | -524.4198 | 0 | 0 | 0 | 0
76 | RT | Planned Transmission Outage | SCE | NA | 2018-12-04 | 10 - 55 | No | DEC | 2 | 43438.9479 | 43439 | -3.1229 | 0 | 0 | 149.602 | -3.0833 | 0 | 147.8072 | 0 | -347.7722 | 0
77 | RT | Planned Transmission Outage | SCE | NA | 2018-12-05 | 10 - 55 | No | DEC | 5 | 43439 | 43439.2083 | 88.837 | 0 | 0 | -5126.1705 | 0 | 0 | 0 | 0 | -992.0562 | 0
78 | RT | Planned Transmission Outage | SCE | NA | 2018-12-07 | 125 | No | DEC | 24 | 43441 | 43442 | 69.1026 | 4906.5555 | 0 | -3707.2758 | 0 | 0 | 0 | 0 | 0 | 0
79 | RT | Planned Transmission Outage | SCE | NA | 2018-12-08 | 125 | No | DEC | 24 | 43442 | 43443 | -46.6459 | 10622.0404 | 0 | 1583.9187 | 0 | 0 | 0 | 0 | 0 | 0
80 | RT | Planned Transmission Outage | SCE | NA | 2018-12-08 | 125 | No | INC | 7 | 43442.3333 | 43442.625 | -50.6706 | 0.0015039 | 0 | 1770.9101 | 0 | 0 | 0 | 0 | 0 | 0
81 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2018-12-06 | 225 | No | INC | 2 | 43440.9167 | 43441 | -0.64042 | 33743.5781 | 1751.6812 | 35.4073 | 0 | 0 | 0 | 0 | 0 | 0
82 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2018-12-07 | 20 - 225 | No | INC | 22 | 43441 | 43441.9167 | 704.5535 | 206824.1953 | 0 | -45851.9865 | 0 | 0 | 0 | 0 | 0 | 0
83 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2018-12-08 | 165 | No | DEC | 7 | 43442.375 | 43442.6667 | -48.6769 | -35242.1621 | 0 | -1419.9433 | -11.5937 | 0 | -36.738 | 0 | -5146.5612 | 0
84 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2018-12-08 | 44 - 96 | No | INC | 9 | 43442.3125 | 43442.6667 | 50.3705 | 87854.9864 | 0 | -4261.3358 | 31.3672 | -2759.5673 | 0 | 0 | -21787.0366 | 0
85 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2018-12-09 | 20 - 63 | No | INC | 16 | 43443.2083 | 43443.8542 | 13.0646 | 154176.6659 | 0 | -935.4437 | 0 | 0 | 0 | 0 | -6.2871 | 0
86 | RT | Software Limitation | PGAE | Bay Area | 2018-12-01 | 140 | No | INC | 2 | 43435 | 43435.0833 | -1.7862 | 18609.7402 | 0 | 119.223 | 0 | 0 | 0 | 0 | 0 | 0
87 | RT | Software Limitation | PGAE | Bay Area | 2018-12-18 | 140 - 290 | No | DEC | 3 | 43452.6771 | 43452.8021 | 236.5522 | 0 | 0 | -8128.4335 | 0 | 0 | 0 | 0 | 0 | 0
88 | RT | Software Limitation | PGAE | Humboldt | 2018-12-27 | 14 | No | DEC | 1 | 43461.6493 | 43461.6667 | 8.4425 | -135.4383 | 0 | -396.5562 | 0 | 0 | 0 | 0 | 0 | 0
89 | RT | Software Limitation | PGAE | NA | 2018-12-10 | 0 | No | INC | 2 | 43444.3785 | 43444.4444 | 27.8939 | 0 | 0 | -2963.356 | 0 | 0 | 0 | 0 | 0 | 0
90 | RT | Software Limitation | SCE | NA | 2018-12-11 | 2 | No | DEC | 12 | 43445.5139 | 43446 | 76.6381 | 0 | 0 | -2760.2897 | 0 | 0 | 0 | 0 | 0 | 0
91 | RT | Software Limitation | SDGE | San Diego-IV | 2018-12-07 | 0 | No | INC | 2 | 43441.9514 | 43442 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
92 | RT | Unit Testing | Intertie | NA | 2018-12-19 | 15 - 52 | No | INC | 9 | 43453.2917 | 43453.6667 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
93 | RT | Unit Testing | Intertie | NA | 2018-12-20 | 13 - 43 | Yes | INC | 9 | 43454.2917 | 43454.6667 | 18 | 0 | 0 | -521.2175 | 18 | -521.2175 | 0 | 0 | 0 | 0
94 | RT | Unit Testing | Intertie | NA | 2018-12-21 | 13 - 24 | No | INC | 7 | 43455.3333 | 43455.625 | 141.8646 | 0 | 0 | -3919.1468 | 141.6875 | -3914.5916 | 0 | 0 | 0 | 0
95 | RT | Unit Testing | Intertie | NA | 2018-12-22 | 13 - 24 | No | INC | 7 | 43456.3333 | 43456.625 | 141.8646 | 0 | 0 | -2631.5364 | 141.6875 | -2631.4567 | 0 | 0 | 0 | 0
96 | RT | Unit Testing | Intertie | NA | 2018-12-23 | 15 - 36 | No | INC | 8 | 43457.3333 | 43457.6667 | 242.7396 | 0 | 0 | -6869.5243 | 242.4062 | -6869.3743 | 0 | 0 | 0 | 0
97 | RT | Unit Testing | Intertie | NA | 2018-12-24 | 10 - 42 | No | INC | 9 | 43458.2917 | 43458.6667 | 300.9491 | 0 | 0 | -4616.4431 | 300.3241 | -4616.1906 | 0 | 0 | 0 | 0
98 | RT | Unit Testing | Intertie | NA | 2018-12-25 | 10 - 39 | No | INC | 9 | 43459.2917 | 43459.6667 | 285.9495 | 0 | 0 | -4249.5635 | 285.4391 | -4249.4296 | 0 | 0 | 0 | 0
99 | RT | Unit Testing | Intertie | NA | 2018-12-26 | 12 - 45 | No | INC | 9 | 43460.2917 | 43460.6667 | 325.9385 | 0 | 0 | -8364.8249 | 325.3552 | -8364.5623 | 0 | 0 | 0 | 0
100 | RT | Unit Testing | Intertie | NA | 2018-12-27 | 10 - 42 | No | INC | 9 | 43461.2917 | 43461.6667 | 304.7917 | 0 | 0 | -7879.0221 | 304.1875 | -7878.7501 | 0 | 0 | 0 | 0
101 | RT | Unit Testing | Intertie | NA | 2018-12-28 | 13 - 52 | No | INC | 9 | 43462.2917 | 43462.6667 | 376.9332 | 0 | 0 | -8585.4332 | 376.1937 | -8585.1003 | 0 | 0 | 0 | 0
102 | RT | Unit Testing | Intertie | NA | 2018-12-29 | 13 - 51 | No | INC | 9 | 43463.2917 | 43463.6667 | 373.9334 | 0 | 0 | -4993.975 | 373.1939 | -4993.7212 | 0 | 0 | 0 | 0
103 | RT | Unit Testing | Intertie | NA | 2018-12-30 | 12 - 45 | No | INC | 9 | 43464.2917 | 43464.6667 | 327.9384 | 0 | 0 | -3293.872 | 327.3134 | -3293.6673 | 0 | 0 | 0 | 0
104 | RT | Unit Testing | PGAE | Fresno | 2018-12-22 | -304 | No | DEC | 4 | 43456.0417 | 43456.1979 | -152.045 | 0 | 0 | 5265.8126 | 0 | 0 | 0 | 0 | 0 | 0
105 | RT | Unit Testing | PGAE | Sierra | 2018-12-07 | 16 | No | INC | 1 | 43441.0312 | 43441.0556 | 5.8333 | 0 | 0 | -466.6667 | 5.8333 | -466.6667 | 0 | 0 | 0 | 0
106 | RT | Unit Testing | PGAE | Sierra | 2018-12-18 | 16 | No | INC | 1 | 43452.0139 | 43452.0417 | 9.8333 | 0 | 0 | -292.3028 | 9.8333 | -292.3028 | 0 | 0 | 0 | 0
107 | RT | Unit Testing | SCE | LA Basin | 2018-12-11 | 45 | No | INC | 1 | 43445.4201 | 43445.4583 | 32.3958 | 950.7792 | 0 | -2771.5539 | 22.3958 | -2373.9583 | 0 | 0 | 0 | 0
108 | RT | Unit Testing | SDGE | San Diego-IV | 2018-12-01 | 105 - 422 | No | INC | 6 | 43435.625 | 43435.8438 | 543.5416 | 0 | 0 | -42069.3554 | 422.629 | -32714.45 | 0 | 0 | 0 | 0
109 | RT | Unit Testing | SDGE | San Diego-IV | 2018-12-02 | 105 - 422 | No | INC | 5 | 43436.2569 | 43436.4375 | 948.6331 | 0 | 0 | -49463.7249 | 722.5498 | -37762.3885 | 0 | 0 | 0 | 0
110 | RT | Unit Testing | SDGE | San Diego-IV | 2018-12-03 | 100 - 400 | Yes | INC | 10 | 43437.25 | 43437.6667 | 881.7708 | 0 | 0 | -41235.178 | 672.5842 | -31431.9514 | 0 | 0 | 0 | 0
111 | RT | Unit Testing | SDGE | San Diego-IV | 2018-12-04 | 105 - 422 | No | INC | 14 | 43438.2569 | 43438.8125 | 174.9456 | 0 | 0 | -12031.66 | 214.4456 | -13937.1192 | 0 | 0 | 0 | 0
112 | RT | Unit Testing | SDGE | San Diego-IV | 2018-12-05 | 105 - 422 | Yes | INC | 7 | 43439.375 | 43439.6667 | 457.0833 | 0 | 0 | -29097.689 | 350.1057 | -21540.9206 | 0 | 0 | 0 | 0
113 | RT | Unit Testing | SDGE | San Diego-IV | 2018-12-06 | 105 - 422 | No | INC | 10 | 43440.3333 | 43440.75 | 1131.3802 | 0 | 0 | -95027.426 | 836.8563 | -68109.4748 | 0 | 0 | 0 | 0
114 | RT | Unit Testing | SDGE | San Diego-IV | 2018-12-07 | 100 - 422 | Yes | INC | 11 | 43441.3333 | 43441.7708 | 1007.7396 | 0 | 0 | -53775.5492 | 712.052 | -37682.6308 | 0 | 0 | 0 | 0
115 | RT | Unit Testing | SDGE | San Diego-IV | 2018-12-08 | 105 - 316 | No | INC | 8 | 43442.3333 | 43442.6667 | 412.1171 | 0 | 0 | -19860.3416 | 382.0338 | -18421.9347 | 0 | 0 | 0 | 0
116 | RT | Unit Testing | SDGE | San Diego-IV | 2018-12-11 | 105.5 - 211 | No | INC | 1 | 43445.8958 | 43445.9375 | 85.5625 | 0 | 0 | -4883.2312 | 41.2131 | -2622.8436 | 0 | 0 | 0 | 0
117 | RT | Unplanned Outage | PGAE | NA | 2018-12-07 | 305 | No | INC | 9 | 43441.2917 | 43441.6667 | -192.0068 | 224591.2051 | 18580.7109 | 9553.0131 | 0 | 0 | 0 | 0 | 0 | 0
118 | RT | Voltage Support | PGAE | Fresno | 2018-12-22 | -0.09 | No | DEC | 20 | 43456.1875 | 43457 | 4.3371 | 0 | 0 | -214.3916 | 0 | 0 | 0 | 0 | 0 | 0
119 | RT | Voltage Support | PGAE | Fresno | 2018-12-23 | -304.09 | No | DEC | 8 | 43457 | 43457.3333 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
120 | RT | Voltage Support | PGAE | Fresno | 2018-12-30 | -303 | No | DEC | 24 | 43464 | 43465 | 11.4262 | 0 | 0 | -501.2315 | 0 | 0 | 0 | 0 | 0 | 0
121 | RT | Voltage Support | PGAE | Fresno | 2018-12-31 | -303 | No | DEC | 16 | 43465 | 43465.6458 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
122 | RT | Voltage Support | PGAE | Fresno | 2018-12-31 | 83 | No | INC | 4 | 43465.8333 | 43466 | -4.3325 | 25002.4004 | 0 | 199.7418 | 0 | 0 | 0 | 0 | 0 | 0
123 | RT | Voltage Support | PGAE | Humboldt | 2018-12-18 | 31 - 42 | No | INC | 17 | 43452.2917 | 43453 | 58.0223 | -1673.1505 | 0 | -1868.6856 | 0.36938 | -19.2112 | 0 | 0 | 0 | 0
124 | RT | Voltage Support | PGAE | Humboldt | 2018-12-19 | 28 - 42 | No | INC | 15 | 43453 | 43453.625 | 12.9309 | -12866.9042 | 0 | -410.6413 | 1.0877 | -53.5185 | 0 | 0 | 0 | 0
125 | RT | Voltage Support | PGAE | Sierra | 2018-12-08 | 42 | No | INC | 1 | 43442.9792 | 43443 | 21.4965 | 0 | 0 | -921.9205 | 0 | 0 | 0 | 0 | 0 | 0
126 | RT | Voltage Support | PGAE | Sierra | 2018-12-09 | 42 | No | INC | 24 | 43443 | 43444 | 1023.2507 | 0 | 0 | -54811.5532 | 0 | 0 | 0 | 0 | 0 | 0
127 | RT | Voltage Support | PGAE | Sierra | 2018-12-10 | 42 | Yes | INC | 7 | 43444 | 43444.2917 | 298.2234 | 0 | 0 | -13252.1495 | 0 | 0 | 0 | 0 | 0 | 0
128 | RT | Voltage Support | PGAE | Sierra | 2018-12-15 | 20 | No | INC | 2 | 43449.1389 | 43449.1944 | 3.3333 | -334.1067 | 0 | -117.0241 | 0 | 0 | 0 | 0 | 0 | 0
129 | RT | Voltage Support | PGAE | Sierra | 2018-12-21 | 45 | No | INC | 4 | 43455.6042 | 43455.75 | 11.25 | 0 | 0 | -378.1665 | 0 | 0 | 0 | 0 | 0 | 0
130 | RT | Voltage Support | PGAE | NA | 2018-12-01 | 140 - 220 | Yes | INC | 5 | 43435.8125 | 43436 | 99.0729 | 85067.7256 | 24403.4102 | -10027.3187 | 4.5208 | -339.9101 | 0 | 0 | -87.803 | 0
131 | RT | Voltage Support | PGAE | NA | 2018-12-02 | 185 | No | DEC | 1 | 43436.8194 | 43436.8333 | 3.237 | 0 | 0 | -292.7742 | 0 | 0 | 0 | 0 | 0 | 0
132 | RT | Voltage Support | PGAE | NA | 2018-12-02 | 140 - 213 | Yes | INC | 21 | 43436 | 43436.875 | -2.2947 | 494849.0312 | 0 | 1040.4691 | 0 | 0 | 0 | 0 | -744.7026 | 0
133 | RT | Voltage Support | SCE | NA | 2018-12-03 | 125 | No | DEC | 24 | 43437 | 43438 | -58.0953 | 0 | 0 | 3535.6646 | 0 | 0 | 0 | 0 | 0 | 0
134 | RT | Voltage Support | SCE | NA | 2018-12-04 | 125 | No | DEC | 24 | 43438 | 43439 | 63.5632 | -1173.9693 | 0 | -2818.1646 | 0 | 0 | 0 | 0 | 0 | 0
135 | RT | Voltage Support | SCE | NA | 2018-12-05 | 125 | No | DEC | 24 | 43439 | 43440 | 71.816 | -8408.4383 | 0 | -4927.2148 | 0 | 0 | 0 | 0 | 0 | 0
136 | RT | Voltage Support | SCE | NA | 2018-12-06 | 125 | No | DEC | 24 | 43440 | 43441 | 178.4981 | 4499.6997 | 0 | -20671.6212 | 0 | 0 | 0 | 0 | 0 | 0

## Price_Impact_A
Table 8: Price Impact Analysis Information for Pricing Node A in PGAE LAP
Number | Trade Date | Trade Hour | Interval | Market LMP | Eligible Flag | Calculated LMP | Change in LMP
1 | 2018-12-01 | 20 | 7 | 87.0889 | Yes | 98.52 | 11.4311
2 | 2018-12-01 | 20 | 8 | 82.4283 | Yes | 98.52 | 16.0918
3 | 2018-12-01 | 20 | 9 | 80.5014 | Yes | 98.52 | 18.0186
4 | 2018-12-01 | 20 | 10 | 77.1649 | Yes | 98.52 | 21.3551
5 | 2018-12-01 | 20 | 11 | 77.1649 | Yes | 98.52 | 21.3551
6 | 2018-12-01 | 20 | 12 | 74.7821 | Yes | 98.52 | 23.7379
7 | 2018-12-01 | 21 | 1 | 75.2569 | Yes | 98.52 | 23.2631
8 | 2018-12-01 | 21 | 2 | 76.9032 | Yes | 98.52 | 21.6168
9 | 2018-12-01 | 21 | 3 | 80.138 | Yes | 98.52 | 18.382
10 | 2018-12-01 | 21 | 4 | 80.034 | Yes | 98.52 | 18.486
11 | 2018-12-01 | 21 | 5 | 79.5337 | Yes | 98.52 | 18.9863
12 | 2018-12-01 | 21 | 6 | 65.0078 | Yes | 98.52 | 33.5122
13 | 2018-12-01 | 21 | 7 | 67.3907 | Yes | 98.52 | 31.1293
14 | 2018-12-01 | 21 | 8 | 77.2529 | Yes | 98.52 | 21.2671
15 | 2018-12-01 | 21 | 9 | 116.2241 | Yes | 98.52 | -17.7041
16 | 2018-12-01 | 21 | 10 | 104.8585 | Yes | 98.52 | -6.3385
17 | 2018-12-01 | 21 | 11 | 93.3182 | Yes | 98.52 | 5.2018
18 | 2018-12-01 | 21 | 12 | 89.7985 | Yes | 98.52 | 8.7215
19 | 2018-12-01 | 22 | 1 | 88.4772 | Yes | 98.52 | 10.0428
20 | 2018-12-01 | 22 | 2 | 104.8943 | Yes | 98.52 | -6.3743
21 | 2018-12-01 | 22 | 3 | 109.1449 | Yes | 98.52 | -10.6249
22 | 2018-12-01 | 22 | 4 | 303.403 | Yes | 98.52 | -204.883
23 | 2018-12-01 | 22 | 5 | 192.6732 | Yes | 98.52 | -94.1532
24 | 2018-12-01 | 22 | 6 | 85.8236 | Yes | 98.52 | 12.6964
25 | 2018-12-01 | 22 | 7 | 79.5905 | Yes | 98.52 | 18.9295
26 | 2018-12-01 | 22 | 8 | 80.2098 | Yes | 98.52 | 18.3102
27 | 2018-12-01 | 22 | 9 | 79.51 | Yes | 98.52 | 19.01
28 | 2018-12-01 | 22 | 10 | 71.2468 | Yes | 98.52 | 27.2732
29 | 2018-12-01 | 22 | 11 | 74.7961 | Yes | 98.52 | 23.7239
30 | 2018-12-01 | 22 | 12 | 79.6153 | Yes | 98.52 | 18.9047
31 | 2018-12-01 | 23 | 1 | 99.3781 | Yes | 98.52 | -0.85808
32 | 2018-12-01 | 23 | 2 | 196.5893 | Yes | 98.52 | -98.0693
33 | 2018-12-01 | 23 | 3 | 165.1364 | Yes | 98.52 | -66.6164
34 | 2018-12-01 | 23 | 4 | 115.6645 | Yes | 98.52 | -17.1445
35 | 2018-12-01 | 23 | 5 | 96.7779 | Yes | 98.52 | 1.7421
36 | 2018-12-01 | 23 | 6 | 101.4434 | Yes | 98.52 | -2.9234
37 | 2018-12-01 | 23 | 7 | 192.2485 | Yes | 98.52 | -93.7285
38 | 2018-12-01 | 23 | 8 | 186.6881 | Yes | 98.52 | -88.1681
39 | 2018-12-01 | 23 | 9 | 109.7108 | Yes | 98.52 | -11.1908
40 | 2018-12-01 | 23 | 10 | 86.4939 | Yes | 98.52 | 12.0261
41 | 2018-12-01 | 23 | 11 | 83.5395 | Yes | 98.52 | 14.9805
42 | 2018-12-01 | 23 | 12 | 75.8511 | Yes | 98.52 | 22.6689
43 | 2018-12-01 | 24 | 1 | 85.1142 | Yes | 98.52 | 13.4058
44 | 2018-12-01 | 24 | 2 | 91.9194 | Yes | 98.52 | 6.6006
45 | 2018-12-01 | 24 | 3 | 80.7875 | Yes | 98.52 | 17.7325
46 | 2018-12-01 | 24 | 4 | 90.9866 | Yes | 98.52 | 7.5334
47 | 2018-12-01 | 24 | 5 | 75.3991 | Yes | 98.52 | 23.1209
48 | 2018-12-01 | 24 | 6 | 72.9042 | Yes | 98.52 | 25.6158
49 | 2018-12-01 | 24 | 7 | 73.0368 | Yes | 98.52 | 25.4832
50 | 2018-12-01 | 24 | 8 | 70.3056 | Yes | 98.52 | 28.2144
51 | 2018-12-01 | 24 | 9 | 70.3056 | Yes | 98.52 | 28.2144
52 | 2018-12-01 | 24 | 10 | 66.6929 | Yes | 98.52 | 31.8271
53 | 2018-12-01 | 24 | 11 | 66.5058 | Yes | 98.52 | 32.0142
54 | 2018-12-01 | 24 | 12 | 62.9511 | Yes | 98.52 | 35.5688
55 | 2018-12-02 | 2 | 1 | 64.0096 | Yes | 98.45 | 34.4404
56 | 2018-12-02 | 2 | 2 | 64.0434 | Yes | 98.45 | 34.4066
57 | 2018-12-02 | 2 | 3 | 68.1643 | Yes | 98.45 | 30.2857
58 | 2018-12-02 | 2 | 4 | 66.986 | Yes | 98.45 | 31.464
59 | 2018-12-02 | 2 | 5 | 64.5714 | Yes | 98.45 | 33.8786
60 | 2018-12-02 | 2 | 6 | 67.7051 | Yes | 98.45 | 30.7449
61 | 2018-12-02 | 2 | 7 | 69.2328 | Yes | 98.45 | 29.2172
62 | 2018-12-02 | 2 | 8 | 67.7545 | Yes | 98.45 | 30.6955
63 | 2018-12-02 | 2 | 9 | 65.7749 | Yes | 98.45 | 32.6751
64 | 2018-12-02 | 2 | 10 | 62.0967 | Yes | 98.45 | 36.3533
65 | 2018-12-02 | 2 | 11 | 59.177 | Yes | 98.45 | 39.273
66 | 2018-12-02 | 2 | 12 | 58.75 | Yes | 98.45 | 39.7
67 | 2018-12-02 | 3 | 1 | 57.6272 | Yes | 98.45 | 40.8228
68 | 2018-12-02 | 3 | 2 | 57.0295 | Yes | 98.45 | 41.4205
69 | 2018-12-02 | 3 | 3 | 57.5042 | Yes | 98.45 | 40.9458
70 | 2018-12-02 | 3 | 4 | 57.4995 | Yes | 98.45 | 40.9505
71 | 2018-12-02 | 3 | 5 | 64.5722 | Yes | 98.45 | 33.8778
72 | 2018-12-02 | 3 | 6 | 62.7607 | Yes | 98.45 | 35.6893
73 | 2018-12-02 | 3 | 7 | 61.8161 | Yes | 98.45 | 36.6339
74 | 2018-12-02 | 3 | 8 | 61.5346 | Yes | 98.45 | 36.9154
75 | 2018-12-02 | 3 | 9 | 59.6288 | Yes | 98.45 | 38.8212
76 | 2018-12-02 | 3 | 10 | 61.5463 | Yes | 98.45 | 36.9037
77 | 2018-12-02 | 3 | 11 | 61.8927 | Yes | 98.45 | 36.5573
78 | 2018-12-02 | 3 | 12 | 66.4061 | Yes | 98.45 | 32.0439
79 | 2018-12-02 | 4 | 1 | 64.4334 | Yes | 98.45 | 34.0166
80 | 2018-12-02 | 4 | 2 | 63.2151 | Yes | 98.45 | 35.2349
81 | 2018-12-02 | 4 | 3 | 68.19 | Yes | 98.45 | 30.26
82 | 2018-12-02 | 4 | 4 | 60.515 | Yes | 98.45 | 37.935
83 | 2018-12-02 | 4 | 5 | 61.7323 | Yes | 98.45 | 36.7177
84 | 2018-12-02 | 4 | 6 | 61.0834 | Yes | 98.45 | 37.3666
85 | 2018-12-02 | 4 | 7 | 60.8964 | Yes | 98.45 | 37.5536
86 | 2018-12-02 | 4 | 8 | 60.1414 | Yes | 98.45 | 38.3086
87 | 2018-12-02 | 4 | 9 | 60.1414 | Yes | 98.45 | 38.3086
88 | 2018-12-02 | 4 | 10 | 60.1149 | Yes | 98.45 | 38.3351
89 | 2018-12-02 | 4 | 11 | 61.9062 | Yes | 98.45 | 36.5438
90 | 2018-12-02 | 4 | 12 | 61.7841 | Yes | 98.45 | 36.6659
91 | 2018-12-02 | 5 | 1 | 61.8073 | Yes | 98.45 | 36.6427
92 | 2018-12-02 | 5 | 2 | 67.4517 | Yes | 98.45 | 30.9983
93 | 2018-12-02 | 5 | 3 | 67.4517 | Yes | 98.45 | 30.9983
94 | 2018-12-02 | 5 | 4 | 67.2286 | Yes | 98.45 | 31.2214
95 | 2018-12-02 | 5 | 5 | 67.7966 | Yes | 98.45 | 30.6534
96 | 2018-12-02 | 5 | 6 | 67.8542 | Yes | 98.45 | 30.5958
97 | 2018-12-02 | 5 | 7 | 69.4771 | Yes | 98.45 | 28.9729
98 | 2018-12-02 | 5 | 8 | 69.4771 | Yes | 98.45 | 28.9729
99 | 2018-12-02 | 5 | 9 | 69.4771 | Yes | 98.45 | 28.9729
100 | 2018-12-02 | 5 | 10 | 72.7378 | Yes | 98.45 | 25.7122
101 | 2018-12-02 | 5 | 11 | 78.3626 | Yes | 98.45 | 20.0874
102 | 2018-12-02 | 5 | 12 | 79.68 | Yes | 98.45 | 18.77
103 | 2018-12-02 | 6 | 1 | 67.8462 | Yes | 98.45 | 30.6038
104 | 2018-12-02 | 6 | 2 | 63.8192 | Yes | 98.45 | 34.6308
105 | 2018-12-02 | 6 | 3 | 67.9119 | Yes | 98.45 | 30.5381
106 | 2018-12-02 | 6 | 4 | 67.8293 | Yes | 98.45 | 30.6207
107 | 2018-12-02 | 6 | 5 | 70.7801 | Yes | 98.45 | 27.6699
108 | 2018-12-02 | 6 | 6 | 70.4023 | Yes | 98.45 | 28.0477
109 | 2018-12-02 | 6 | 7 | 73.6894 | Yes | 98.45 | 24.7606
110 | 2018-12-02 | 6 | 8 | 78.774 | Yes | 98.45 | 19.676
111 | 2018-12-02 | 6 | 9 | 81.0734 | Yes | 98.45 | 17.3766
112 | 2018-12-02 | 6 | 10 | 86.7203 | Yes | 98.45 | 11.7297
113 | 2018-12-02 | 6 | 11 | 83.029 | Yes | 98.45 | 15.421
114 | 2018-12-02 | 6 | 12 | 84.7261 | Yes | 98.45 | 13.7239
115 | 2018-12-02 | 7 | 1 | 71.5606 | Yes | 98.45 | 26.8894
116 | 2018-12-02 | 7 | 2 | 53.1511 | Yes | 98.45 | 45.2989
117 | 2018-12-02 | 7 | 3 | 53.7536 | Yes | 98.45 | 44.6964
118 | 2018-12-02 | 7 | 4 | 53.1353 | Yes | 98.45 | 45.3147
119 | 2018-12-02 | 7 | 5 | 55.7288 | Yes | 98.45 | 42.7212
120 | 2018-12-02 | 7 | 6 | 59.5459 | Yes | 98.45 | 38.9041
121 | 2018-12-02 | 7 | 7 | 58.0271 | Yes | 98.45 | 40.4229
122 | 2018-12-02 | 7 | 8 | 58.0071 | Yes | 98.45 | 40.4429
123 | 2018-12-02 | 7 | 9 | 57.7794 | Yes | 98.45 | 40.6706
124 | 2018-12-02 | 7 | 10 | 57.3242 | Yes | 98.45 | 41.1258
125 | 2018-12-02 | 7 | 11 | 57.1065 | Yes | 98.45 | 41.3435
126 | 2018-12-02 | 7 | 12 | 65.546 | Yes | 98.45 | 32.904
127 | 2018-12-02 | 8 | 1 | 73.7136 | Yes | 98.45 | 24.7364
128 | 2018-12-02 | 8 | 2 | 79.0115 | Yes | 98.45 | 19.4385
129 | 2018-12-02 | 8 | 3 | 85.1828 | Yes | 98.45 | 13.2672
130 | 2018-12-02 | 8 | 4 | 68.1395 | Yes | 98.45 | 30.3105
131 | 2018-12-02 | 8 | 5 | 68.7148 | Yes | 98.45 | 29.7352
132 | 2018-12-02 | 8 | 6 | 64.1036 | Yes | 98.45 | 34.3464
133 | 2018-12-02 | 8 | 7 | 60.2747 | Yes | 98.45 | 38.1753
134 | 2018-12-02 | 8 | 8 | 52.0827 | Yes | 98.45 | 46.3672
135 | 2018-12-02 | 8 | 9 | 49.3383 | Yes | 98.45 | 49.1116
136 | 2018-12-02 | 8 | 10 | 44.4028 | Yes | 98.45 | 54.0472
137 | 2018-12-02 | 8 | 11 | 39.527 | Yes | 98.45 | 58.923
138 | 2018-12-02 | 8 | 12 | 42.4983 | Yes | 98.45 | 55.9517
139 | 2018-12-02 | 9 | 1 | 47.0376 | Yes | 98.45 | 51.4124
140 | 2018-12-02 | 9 | 2 | 47.5739 | Yes | 98.45 | 50.8761
141 | 2018-12-02 | 9 | 3 | 42.4732 | Yes | 98.45 | 55.9768
142 | 2018-12-02 | 9 | 4 | 41.8146 | Yes | 98.45 | 56.6354
143 | 2018-12-02 | 9 | 5 | 33.4517 | Yes | 98.45 | 64.9983
144 | 2018-12-02 | 9 | 6 | 33.6398 | Yes | 98.45 | 64.8102
145 | 2018-12-02 | 9 | 7 | -0.00997 | Yes | 98.45 | 98.46
146 | 2018-12-02 | 9 | 8 | 0.00873 | Yes | 98.45 | 98.4413
147 | 2018-12-02 | 9 | 9 | 0.00873 | Yes | 98.45 | 98.4413
148 | 2018-12-02 | 9 | 10 | 14.6169 | Yes | 98.45 | 83.8331
149 | 2018-12-02 | 9 | 11 | 20.5658 | Yes | 98.45 | 77.8842
150 | 2018-12-02 | 9 | 12 | 19.0174 | Yes | 98.45 | 79.4326
151 | 2018-12-02 | 10 | 1 | 3.1227 | Yes | 98.45 | 95.3273
152 | 2018-12-02 | 10 | 2 | 0 | Yes | 98.45 | 98.45
153 | 2018-12-02 | 10 | 3 | 8.7173 | Yes | 98.45 | 89.7327
154 | 2018-12-02 | 10 | 4 | 35.1114 | Yes | 98.45 | 63.3386
155 | 2018-12-02 | 10 | 5 | 18.9965 | Yes | 98.45 | 79.4535
156 | 2018-12-02 | 10 | 6 | 32.4399 | Yes | 98.45 | 66.0101
157 | 2018-12-02 | 10 | 7 | 14.042 | Yes | 98.45 | 84.408
158 | 2018-12-02 | 10 | 8 | 14.1281 | Yes | 98.45 | 84.3219
159 | 2018-12-02 | 10 | 9 | 23.0016 | Yes | 98.45 | 75.4484
160 | 2018-12-02 | 10 | 10 | 34.9976 | Yes | 98.45 | 63.4524
161 | 2018-12-02 | 10 | 11 | 32.0388 | Yes | 98.45 | 66.4112
162 | 2018-12-02 | 10 | 12 | 35.7076 | Yes | 98.45 | 62.7424
163 | 2018-12-02 | 11 | 1 | -0.01017 | Yes | 98.45 | 98.4602
164 | 2018-12-02 | 11 | 2 | 19.1411 | Yes | 98.45 | 79.3089
165 | 2018-12-02 | 11 | 3 | 42.5824 | Yes | 98.45 | 55.8676
166 | 2018-12-02 | 11 | 4 | 35.3163 | Yes | 98.45 | 63.1337
167 | 2018-12-02 | 11 | 5 | 34.056 | Yes | 98.45 | 64.394
168 | 2018-12-02 | 11 | 6 | 14.9517 | Yes | 98.45 | 83.4984
169 | 2018-12-02 | 11 | 7 | 18.7488 | Yes | 98.45 | 79.7012
170 | 2018-12-02 | 11 | 8 | 0 | Yes | 98.45 | 98.45
171 | 2018-12-02 | 11 | 9 | 13.8393 | Yes | 98.45 | 84.6107
172 | 2018-12-02 | 11 | 10 | -0.00976 | Yes | 98.45 | 98.4598
173 | 2018-12-02 | 11 | 11 | 14.3372 | Yes | 98.45 | 84.1128
174 | 2018-12-02 | 11 | 12 | 14.047 | Yes | 98.45 | 84.403
175 | 2018-12-02 | 12 | 1 | 19.3097 | Yes | 98.45 | 79.1403
176 | 2018-12-02 | 12 | 2 | 26.4103 | Yes | 98.45 | 72.0397
177 | 2018-12-02 | 12 | 3 | 21.4369 | Yes | 98.45 | 77.0131
178 | 2018-12-02 | 12 | 4 | 14.6553 | Yes | 98.45 | 83.7947
179 | 2018-12-02 | 12 | 5 | 16.698 | Yes | 98.45 | 81.752
180 | 2018-12-02 | 12 | 6 | 18.0499 | Yes | 98.45 | 80.4001
181 | 2018-12-02 | 12 | 7 | 20.8409 | Yes | 98.45 | 77.609
182 | 2018-12-02 | 12 | 8 | 18.474 | Yes | 98.45 | 79.976
183 | 2018-12-02 | 12 | 9 | 14.5773 | Yes | 98.45 | 83.8727
184 | 2018-12-02 | 12 | 10 | 14.5839 | Yes | 98.45 | 83.8661
185 | 2018-12-02 | 12 | 11 | 14.5839 | Yes | 98.45 | 83.8661
186 | 2018-12-02 | 12 | 12 | 15.2514 | Yes | 98.45 | 83.1986
187 | 2018-12-02 | 13 | 1 | 17.3575 | Yes | 98.45 | 81.0925
188 | 2018-12-02 | 13 | 2 | 19.757 | Yes | 98.45 | 78.693
189 | 2018-12-02 | 13 | 3 | 18.8254 | Yes | 98.45 | 79.6246
190 | 2018-12-02 | 13 | 4 | 14.3866 | Yes | 98.45 | 84.0634
191 | 2018-12-02 | 13 | 5 | 17.5814 | Yes | 98.45 | 80.8686
192 | 2018-12-02 | 13 | 6 | 13.9326 | Yes | 98.45 | 84.5174
193 | 2018-12-02 | 13 | 7 | 18.9083 | Yes | 98.45 | 79.5417
194 | 2018-12-02 | 13 | 8 | 22.9452 | Yes | 98.45 | 75.5048
195 | 2018-12-02 | 13 | 9 | 22.9475 | Yes | 98.45 | 75.5025
196 | 2018-12-02 | 13 | 10 | 22.7931 | Yes | 98.45 | 75.6569
197 | 2018-12-02 | 13 | 11 | 21.3056 | Yes | 98.45 | 77.1444
198 | 2018-12-02 | 13 | 12 | 23.0142 | Yes | 98.45 | 75.4358
199 | 2018-12-02 | 14 | 1 | 14.5346 | Yes | 98.45 | 83.9154
200 | 2018-12-02 | 14 | 2 | 18.686 | Yes | 98.45 | 79.764
201 | 2018-12-02 | 14 | 3 | 26.2046 | Yes | 98.45 | 72.2454
202 | 2018-12-02 | 14 | 4 | 14.1953 | Yes | 98.45 | 84.2547
203 | 2018-12-02 | 14 | 5 | 13.952 | Yes | 98.45 | 84.4981
204 | 2018-12-02 | 14 | 6 | 14.8166 | Yes | 98.45 | 83.6334
205 | 2018-12-02 | 14 | 7 | 14.0321 | Yes | 98.45 | 84.4179
206 | 2018-12-02 | 14 | 8 | 15.4492 | Yes | 98.45 | 83.0008
207 | 2018-12-02 | 14 | 9 | 22.962 | Yes | 98.45 | 75.488
208 | 2018-12-02 | 14 | 10 | 23.1611 | Yes | 98.45 | 75.2889
209 | 2018-12-02 | 14 | 11 | 21.5223 | Yes | 98.45 | 76.9277
210 | 2018-12-02 | 14 | 12 | 22.9091 | Yes | 98.45 | 75.5409
211 | 2018-12-02 | 15 | 1 | 14.1595 | Yes | 98.45 | 84.2905
212 | 2018-12-02 | 15 | 2 | 18.3184 | Yes | 98.45 | 80.1316
213 | 2018-12-02 | 15 | 3 | 14.4238 | Yes | 98.45 | 84.0262
214 | 2018-12-02 | 15 | 4 | 16.2484 | Yes | 98.45 | 82.2016
215 | 2018-12-02 | 15 | 5 | 17.0373 | Yes | 98.45 | 81.4127
216 | 2018-12-02 | 15 | 6 | 26.129 | Yes | 98.45 | 72.321
217 | 2018-12-02 | 15 | 7 | 39.3166 | Yes | 98.45 | 59.1334
218 | 2018-12-02 | 15 | 8 | 44.3116 | Yes | 98.45 | 54.1384
219 | 2018-12-02 | 15 | 9 | 46.4239 | Yes | 98.45 | 52.0261
220 | 2018-12-02 | 15 | 10 | 49.4533 | Yes | 98.45 | 48.9967
221 | 2018-12-02 | 15 | 11 | 49.4533 | Yes | 98.45 | 48.9967
222 | 2018-12-02 | 15 | 12 | 52.4238 | Yes | 98.45 | 46.0262
223 | 2018-12-02 | 16 | 1 | 38.8011 | Yes | 98.45 | 59.6489
224 | 2018-12-02 | 16 | 2 | 23.5333 | Yes | 98.45 | 74.9167
225 | 2018-12-02 | 16 | 3 | 36.0913 | Yes | 98.45 | 62.3587
226 | 2018-12-02 | 16 | 4 | 32.7704 | Yes | 98.45 | 65.6796
227 | 2018-12-02 | 16 | 5 | 40.4102 | Yes | 98.45 | 58.0398
228 | 2018-12-02 | 16 | 6 | 49.4506 | Yes | 98.45 | 48.9994
229 | 2018-12-02 | 16 | 7 | 55.3772 | Yes | 98.45 | 43.0728
230 | 2018-12-02 | 16 | 8 | 59.2335 | Yes | 98.45 | 39.2165
231 | 2018-12-02 | 16 | 9 | 62.4873 | Yes | 98.45 | 35.9627
232 | 2018-12-02 | 16 | 10 | 64.0138 | Yes | 98.45 | 34.4362
233 | 2018-12-02 | 16 | 11 | 71.0441 | Yes | 98.45 | 27.4059
234 | 2018-12-02 | 16 | 12 | 83.7263 | Yes | 98.45 | 14.7237
235 | 2018-12-02 | 17 | 1 | 55.908 | Yes | 98.45 | 42.542
236 | 2018-12-02 | 17 | 2 | 53.2401 | Yes | 98.45 | 45.2099
237 | 2018-12-02 | 17 | 3 | 53.5489 | Yes | 98.45 | 44.9012
238 | 2018-12-02 | 17 | 4 | 55.6965 | Yes | 98.45 | 42.7535
239 | 2018-12-02 | 17 | 5 | 57.329 | Yes | 98.45 | 41.121
240 | 2018-12-02 | 17 | 6 | 59.6838 | Yes | 98.45 | 38.7662
241 | 2018-12-02 | 17 | 7 | 59.3216 | Yes | 98.45 | 39.1285
242 | 2018-12-02 | 17 | 8 | 59.8973 | Yes | 98.45 | 38.5527
243 | 2018-12-02 | 17 | 9 | 71.986 | Yes | 98.45 | 26.464
244 | 2018-12-02 | 17 | 10 | 80.381 | Yes | 98.45 | 18.069
245 | 2018-12-02 | 17 | 11 | 83.33 | Yes | 98.45 | 15.12
246 | 2018-12-02 | 17 | 12 | 90.0012 | Yes | 98.45 | 8.4488
247 | 2018-12-02 | 20 | 9 | 83.7924 | Yes | 98.45 | 14.6576
248 | 2018-12-02 | 20 | 10 | 90.0445 | Yes | 98.45 | 8.4055
249 | 2018-12-02 | 20 | 11 | 88.1218 | Yes | 98.45 | 10.3282
250 | 2018-12-02 | 20 | 12 | 91.3001 | Yes | 98.45 | 7.1499
251 | 2018-12-02 | 21 | 1 | 93.8095 | Yes | 98.45 | 4.6405
252 | 2018-12-02 | 21 | 2 | 100.7264 | Yes | 98.45 | -2.2764
253 | 2018-12-02 | 21 | 3 | 99.6747 | Yes | 98.45 | -1.2247
254 | 2018-12-02 | 21 | 4 | 90.0142 | Yes | 98.45 | 8.4359
255 | 2018-12-02 | 21 | 5 | 88.1768 | Yes | 98.45 | 10.2732
256 | 2018-12-02 | 21 | 6 | 84.8619 | Yes | 98.45 | 13.5881
257 | 2018-12-02 | 21 | 7 | 84.2815 | Yes | 98.45 | 14.1685
258 | 2018-12-02 | 21 | 8 | 83.8448 | Yes | 98.45 | 14.6052
259 | 2018-12-02 | 21 | 9 | 77.2825 | Yes | 98.45 | 21.1675
260 | 2018-12-02 | 21 | 10 | 74.9687 | Yes | 98.45 | 23.4813
261 | 2018-12-02 | 21 | 11 | 74.9687 | Yes | 98.45 | 23.4813
262 | 2018-12-02 | 21 | 12 | 81.1548 | Yes | 98.45 | 17.2952

## Price_Impact_B
Table 9: Price Impact Analysis Information for Pricing Node B in SCE LAP
Number | Trade Date | Trade Hour | Interval | Market LMP | Eligible Flag | Calculated LMP | Change in LMP
1 | 2018-12-01 | 16 | 1 | 62.4789 | Yes | 405.35 | 342.8711
2 | 2018-12-01 | 16 | 2 | 56.8686 | Yes | 405.35 | 348.4814
3 | 2018-12-01 | 16 | 3 | 57.6403 | Yes | 405.35 | 347.7097
4 | 2018-12-01 | 16 | 4 | 57.885 | Yes | 405.35 | 347.465
5 | 2018-12-01 | 16 | 5 | 62.983 | Yes | 405.35 | 342.367
6 | 2018-12-01 | 16 | 6 | 67.4882 | Yes | 405.35 | 337.8618
7 | 2018-12-01 | 16 | 7 | 80.4587 | Yes | 405.35 | 324.8913
8 | 2018-12-01 | 16 | 8 | 100.1649 | Yes | 405.35 | 305.1851
9 | 2018-12-01 | 16 | 9 | 107.3491 | Yes | 405.35 | 298.0009
10 | 2018-12-01 | 16 | 10 | 96.2688 | Yes | 405.35 | 309.0812
11 | 2018-12-01 | 16 | 11 | 107.2326 | Yes | 405.35 | 298.1174
12 | 2018-12-01 | 16 | 12 | 119.7318 | Yes | 405.35 | 285.6182
13 | 2018-12-01 | 17 | 1 | 76.0342 | Yes | 405.35 | 329.3158
14 | 2018-12-01 | 17 | 2 | 76.3719 | Yes | 405.35 | 328.9781
15 | 2018-12-01 | 17 | 3 | 55.8519 | Yes | 405.35 | 349.4981
16 | 2018-12-01 | 17 | 4 | 62.8149 | Yes | 405.35 | 342.5351
17 | 2018-12-01 | 17 | 5 | 74.1087 | Yes | 405.35 | 331.2413
18 | 2018-12-01 | 17 | 6 | 81.1855 | Yes | 405.35 | 324.1645
19 | 2018-12-01 | 17 | 7 | 78.0396 | Yes | 405.35 | 327.3104
20 | 2018-12-01 | 17 | 8 | 82.0772 | Yes | 405.35 | 323.2728
21 | 2018-12-01 | 17 | 9 | 83.187 | Yes | 405.35 | 322.163
22 | 2018-12-01 | 17 | 10 | 82.5796 | Yes | 405.35 | 322.7704
23 | 2018-12-01 | 17 | 11 | 71.9832 | Yes | 405.35 | 333.3668
24 | 2018-12-01 | 17 | 12 | 80.6998 | Yes | 405.35 | 324.6502
25 | 2018-12-01 | 18 | 1 | 63.7732 | Yes | 405.35 | 341.5768
26 | 2018-12-01 | 18 | 2 | 62.8342 | Yes | 405.35 | 342.5158
27 | 2018-12-01 | 18 | 3 | 78.3222 | Yes | 405.35 | 327.0278
28 | 2018-12-01 | 18 | 4 | 69.3295 | Yes | 405.35 | 336.0205
29 | 2018-12-01 | 18 | 5 | 63.1061 | Yes | 405.35 | 342.2439
30 | 2018-12-01 | 18 | 6 | 63.7584 | Yes | 405.35 | 341.5916
31 | 2018-12-01 | 18 | 7 | 70.2346 | Yes | 405.35 | 335.1154
32 | 2018-12-01 | 18 | 8 | 75.0714 | Yes | 405.35 | 330.2786
33 | 2018-12-01 | 18 | 9 | 76.1539 | Yes | 405.35 | 329.1961
34 | 2018-12-01 | 18 | 10 | 76.4985 | Yes | 405.35 | 328.8515
35 | 2018-12-01 | 18 | 11 | 77.2553 | Yes | 405.35 | 328.0947
36 | 2018-12-01 | 18 | 12 | 78.4872 | Yes | 405.35 | 326.8628
37 | 2018-12-01 | 19 | 1 | 75.0751 | Yes | 405.35 | 330.2749
38 | 2018-12-01 | 19 | 2 | 78.6011 | Yes | 405.35 | 326.7489
39 | 2018-12-01 | 19 | 3 | 84.124 | Yes | 405.35 | 321.226
40 | 2018-12-01 | 19 | 4 | 83.9765 | Yes | 405.35 | 321.3735
41 | 2018-12-01 | 19 | 5 | 82.9284 | Yes | 405.35 | 322.4216
42 | 2018-12-01 | 19 | 6 | 81.7082 | Yes | 405.35 | 323.6418
43 | 2018-12-01 | 19 | 7 | 79.838 | Yes | 405.35 | 325.512
44 | 2018-12-01 | 19 | 8 | 77.3489 | Yes | 405.35 | 328.0011
45 | 2018-12-01 | 19 | 9 | 79.991 | Yes | 405.35 | 325.359
46 | 2018-12-01 | 19 | 10 | 79.0158 | Yes | 405.35 | 326.3342
47 | 2018-12-01 | 19 | 11 | 78.1984 | Yes | 405.35 | 327.1515
48 | 2018-12-01 | 19 | 12 | 78.1998 | Yes | 405.35 | 327.1502
49 | 2018-12-01 | 20 | 1 | 82.3732 | Yes | 405.35 | 322.9767
50 | 2018-12-01 | 20 | 2 | 83.4839 | Yes | 405.35 | 321.8661
51 | 2018-12-01 | 20 | 3 | 87.1098 | Yes | 405.35 | 318.2403
52 | 2018-12-01 | 20 | 4 | 87.4735 | Yes | 405.35 | 317.8765
53 | 2018-12-01 | 20 | 5 | 87.4735 | Yes | 405.35 | 317.8765
54 | 2018-12-01 | 20 | 6 | 100.9912 | Yes | 405.35 | 304.3588
55 | 2018-12-01 | 20 | 7 | 88.7166 | Yes | 405.35 | 316.6334
56 | 2018-12-01 | 20 | 8 | 83.9689 | Yes | 405.35 | 321.3811
57 | 2018-12-01 | 20 | 9 | 82.006 | Yes | 405.35 | 323.344
58 | 2018-12-01 | 20 | 10 | 78.5516 | Yes | 405.35 | 326.7985
59 | 2018-12-01 | 20 | 11 | 78.5516 | Yes | 405.35 | 326.7985
60 | 2018-12-01 | 20 | 12 | 76.1259 | Yes | 405.35 | 329.2241
61 | 2018-12-01 | 21 | 1 | 76.6218 | Yes | 405.35 | 328.7282
62 | 2018-12-01 | 21 | 2 | 78.2979 | Yes | 405.35 | 327.0521
63 | 2018-12-01 | 21 | 3 | 81.5914 | Yes | 405.35 | 323.7586
64 | 2018-12-01 | 21 | 4 | 81.8261 | Yes | 405.35 | 323.5239
65 | 2018-12-01 | 21 | 5 | 81.3146 | Yes | 405.35 | 324.0354
66 | 2018-12-01 | 21 | 6 | 66.4635 | Yes | 405.35 | 338.8865
67 | 2018-12-01 | 21 | 7 | 68.8025 | Yes | 405.35 | 336.5475
68 | 2018-12-01 | 21 | 8 | 78.8713 | Yes | 405.35 | 326.4787
69 | 2018-12-01 | 21 | 9 | 118.6589 | Yes | 405.35 | 286.6911
70 | 2018-12-01 | 21 | 10 | 106.9806 | Yes | 405.35 | 298.3694
71 | 2018-12-01 | 21 | 11 | 95.2067 | Yes | 405.35 | 310.1433
72 | 2018-12-01 | 21 | 12 | 91.6158 | Yes | 405.35 | 313.7342
73 | 2018-12-02 | 15 | 5 | 17.1534 | Yes | 405.35 | 388.1966
74 | 2018-12-02 | 15 | 6 | 26.307 | Yes | 405.35 | 379.043
75 | 2018-12-02 | 15 | 7 | 39.6766 | Yes | 405.35 | 365.6734
76 | 2018-12-02 | 15 | 8 | 44.7173 | Yes | 405.35 | 360.6327
77 | 2018-12-02 | 15 | 9 | 46.8489 | Yes | 405.35 | 358.5011
78 | 2018-12-02 | 15 | 10 | 49.9138 | Yes | 405.35 | 355.4362
79 | 2018-12-02 | 15 | 11 | 49.9138 | Yes | 405.35 | 355.4362
80 | 2018-12-02 | 15 | 12 | 52.9119 | Yes | 405.35 | 352.4381
81 | 2018-12-02 | 16 | 1 | 39.1497 | Yes | 405.35 | 366.2003
82 | 2018-12-02 | 16 | 2 | 23.7448 | Yes | 405.35 | 381.6052
83 | 2018-12-02 | 16 | 3 | 36.4155 | Yes | 405.35 | 368.9345
84 | 2018-12-02 | 16 | 4 | 33.2241 | Yes | 405.35 | 372.1259
85 | 2018-12-02 | 16 | 5 | 40.9697 | Yes | 405.35 | 364.3803
86 | 2018-12-02 | 16 | 6 | 50.1352 | Yes | 405.35 | 355.2148
87 | 2018-12-02 | 16 | 7 | 56.1888 | Yes | 405.35 | 349.1612
88 | 2018-12-02 | 16 | 8 | 60.1016 | Yes | 405.35 | 345.2484
89 | 2018-12-02 | 16 | 9 | 63.4031 | Yes | 405.35 | 341.9469
90 | 2018-12-02 | 16 | 10 | 65.1492 | Yes | 405.35 | 340.2008
91 | 2018-12-02 | 16 | 11 | 72.3043 | Yes | 405.35 | 333.0457
92 | 2018-12-02 | 16 | 12 | 85.2114 | Yes | 405.35 | 320.1386
93 | 2018-12-02 | 17 | 1 | 57.0427 | Yes | 405.35 | 348.3073
94 | 2018-12-02 | 17 | 2 | 54.3206 | Yes | 405.35 | 351.0294
95 | 2018-12-02 | 17 | 3 | 54.6356 | Yes | 405.35 | 350.7144
96 | 2018-12-02 | 17 | 4 | 56.9563 | Yes | 405.35 | 348.3937
97 | 2018-12-02 | 17 | 5 | 58.6257 | Yes | 405.35 | 346.7243
98 | 2018-12-02 | 17 | 6 | 61.0338 | Yes | 405.35 | 344.3162
99 | 2018-12-02 | 17 | 7 | 60.8767 | Yes | 405.35 | 344.4733
100 | 2018-12-02 | 17 | 8 | 61.4675 | Yes | 405.35 | 343.8825
101 | 2018-12-02 | 17 | 9 | 73.8731 | Yes | 405.35 | 331.4769
102 | 2018-12-02 | 17 | 10 | 80.381 | Yes | 405.35 | 324.969
103 | 2018-12-02 | 17 | 11 | 83.33 | Yes | 405.35 | 322.02
104 | 2018-12-02 | 17 | 12 | 90.0012 | Yes | 405.35 | 315.3488
105 | 2018-12-02 | 18 | 1 | 91.6346 | Yes | 405.35 | 313.7154
106 | 2018-12-02 | 18 | 2 | 90.3159 | Yes | 405.35 | 315.0341
107 | 2018-12-02 | 18 | 3 | 94.6569 | Yes | 405.35 | 310.6931
108 | 2018-12-02 | 18 | 4 | 98.8429 | Yes | 405.35 | 306.5071
109 | 2018-12-02 | 18 | 5 | 99.4889 | Yes | 405.35 | 305.8611
110 | 2018-12-02 | 18 | 6 | 111.4379 | Yes | 405.35 | 293.9121
111 | 2018-12-02 | 18 | 7 | 103.2275 | Yes | 405.35 | 302.1225
112 | 2018-12-02 | 18 | 8 | 105.0296 | Yes | 405.35 | 300.3204
113 | 2018-12-02 | 18 | 9 | 105.6382 | Yes | 405.35 | 299.7117
114 | 2018-12-02 | 18 | 10 | 108.3288 | Yes | 405.35 | 297.0212
115 | 2018-12-02 | 18 | 11 | 112.5169 | Yes | 405.35 | 292.8331
116 | 2018-12-02 | 18 | 12 | 108.9937 | Yes | 405.35 | 296.3563
117 | 2018-12-02 | 19 | 1 | 97.22 | Yes | 405.35 | 308.13
118 | 2018-12-02 | 19 | 2 | 99.3538 | Yes | 405.35 | 305.9962
119 | 2018-12-02 | 19 | 3 | 110.8763 | Yes | 405.35 | 294.4737
120 | 2018-12-02 | 19 | 4 | 117.0219 | Yes | 405.35 | 288.3281
121 | 2018-12-02 | 19 | 5 | 119.4758 | Yes | 405.35 | 285.8742
122 | 2018-12-02 | 19 | 6 | 129.0404 | Yes | 405.35 | 276.3096
123 | 2018-12-02 | 19 | 7 | 120.1196 | Yes | 155.83 | 35.7104
124 | 2018-12-02 | 19 | 8 | 133.1399 | Yes | 155.83 | 22.6901
125 | 2018-12-02 | 19 | 9 | 124.3442 | Yes | 155.83 | 31.4858
126 | 2018-12-02 | 19 | 10 | 133.449 | Yes | 405.35 | 271.901
127 | 2018-12-02 | 19 | 11 | 130.4281 | Yes | 405.35 | 274.9219
128 | 2018-12-02 | 19 | 12 | 133.6089 | Yes | 405.35 | 271.7411
129 | 2018-12-02 | 20 | 1 | 113.0947 | Yes | 155.83 | 42.7353
130 | 2018-12-02 | 20 | 2 | 111.5945 | Yes | 155.83 | 44.2355
131 | 2018-12-02 | 20 | 3 | 112.1826 | Yes | 155.83 | 43.6474
132 | 2018-12-02 | 20 | 4 | 129.837 | Yes | 405.35 | 275.513
133 | 2018-12-02 | 20 | 5 | 115.5353 | Yes | 405.35 | 289.8147
134 | 2018-12-02 | 20 | 6 | 108.9635 | Yes | 405.35 | 296.3865
135 | 2018-12-02 | 20 | 7 | 98.366 | Yes | 405.35 | 306.984
136 | 2018-12-02 | 20 | 8 | 102.8646 | Yes | 405.35 | 302.4854
137 | 2018-12-02 | 20 | 9 | 90.2693 | Yes | 155.83 | 65.5607
138 | 2018-12-02 | 20 | 10 | 108.4222 | Yes | 155.83 | 47.4078
139 | 2018-12-02 | 20 | 11 | 111.4935 | Yes | 155.83 | 44.3365
140 | 2018-12-02 | 20 | 12 | 98.3381 | Yes | 155.83 | 57.4919
141 | 2018-12-02 | 21 | 1 | 101.9702 | Yes | 405.35 | 303.3798
142 | 2018-12-02 | 21 | 2 | 104.0391 | Yes | 405.35 | 301.3109
143 | 2018-12-02 | 21 | 3 | 102.9528 | Yes | 405.35 | 302.3972
144 | 2018-12-02 | 21 | 4 | 92.8743 | Yes | 405.35 | 312.4757
145 | 2018-12-02 | 21 | 5 | 90.9786 | Yes | 405.35 | 314.3714
146 | 2018-12-02 | 21 | 6 | 87.5584 | Yes | 405.35 | 317.7916
147 | 2018-12-02 | 21 | 7 | 86.833 | Yes | 405.35 | 318.517
148 | 2018-12-02 | 21 | 8 | 86.3831 | Yes | 405.35 | 318.9669
149 | 2018-12-02 | 21 | 9 | 79.6221 | Yes | 405.35 | 325.7279
150 | 2018-12-02 | 21 | 10 | 80.1078 | Yes | 405.35 | 325.2422
151 | 2018-12-02 | 21 | 11 | 79.4886 | Yes | 405.35 | 325.8614
152 | 2018-12-02 | 21 | 12 | 84.0372 | Yes | 405.35 | 321.3128
153 | 2018-12-03 | 15 | 2 | 41.174 | Yes | 405.35 | 364.176
154 | 2018-12-03 | 15 | 3 | 41.174 | Yes | 405.35 | 364.176
155 | 2018-12-03 | 15 | 4 | 40.1361 | Yes | 405.35 | 365.2139
156 | 2018-12-03 | 15 | 5 | 39.4975 | Yes | 405.35 | 365.8525
157 | 2018-12-03 | 15 | 6 | 41.3496 | Yes | 405.35 | 364.0004
158 | 2018-12-03 | 15 | 7 | 41.5802 | Yes | 405.35 | 363.7699
159 | 2018-12-03 | 15 | 8 | 41.5802 | Yes | 405.35 | 363.7699
160 | 2018-12-03 | 15 | 9 | 48.6091 | Yes | 405.35 | 356.7409
161 | 2018-12-03 | 15 | 10 | 52.3083 | Yes | 405.35 | 353.0417
162 | 2018-12-03 | 15 | 11 | 52.3083 | Yes | 405.35 | 353.0417
163 | 2018-12-03 | 15 | 12 | 51.6013 | Yes | 405.35 | 353.7486
164 | 2018-12-03 | 16 | 1 | 15.6083 | Yes | 405.35 | 389.7417
165 | 2018-12-03 | 16 | 2 | 22.5127 | Yes | 405.35 | 382.8373
166 | 2018-12-03 | 16 | 3 | 15.7736 | Yes | 405.35 | 389.5764
167 | 2018-12-03 | 16 | 4 | 15.419 | Yes | 405.35 | 389.9311
168 | 2018-12-03 | 16 | 5 | 26.3971 | Yes | 405.35 | 378.9529
169 | 2018-12-03 | 16 | 6 | 40.4008 | Yes | 405.35 | 364.9493
170 | 2018-12-03 | 16 | 7 | 51.386 | Yes | 405.35 | 353.964
171 | 2018-12-03 | 16 | 8 | 55.9463 | Yes | 405.35 | 349.4037
172 | 2018-12-03 | 16 | 9 | 58.0439 | Yes | 405.35 | 347.3061
173 | 2018-12-03 | 16 | 10 | 56.8754 | Yes | 405.35 | 348.4746
174 | 2018-12-03 | 16 | 11 | 58.8467 | Yes | 405.35 | 346.5033
175 | 2018-12-03 | 16 | 12 | 66.102 | Yes | 405.35 | 339.248
176 | 2018-12-03 | 17 | 1 | 58.6348 | Yes | 405.35 | 346.7152
177 | 2018-12-03 | 17 | 2 | 61.121 | Yes | 405.35 | 344.229
178 | 2018-12-03 | 17 | 3 | 54.896 | Yes | 405.35 | 350.454
179 | 2018-12-03 | 17 | 4 | 58.6577 | Yes | 405.35 | 346.6923
180 | 2018-12-03 | 17 | 5 | 72.4021 | Yes | 405.35 | 332.9479
181 | 2018-12-03 | 17 | 6 | 72.4089 | Yes | 405.35 | 332.9411
182 | 2018-12-03 | 17 | 7 | 80.6033 | Yes | 405.35 | 324.7467
183 | 2018-12-03 | 17 | 8 | 87.2275 | Yes | 405.35 | 318.1225
184 | 2018-12-03 | 17 | 9 | 102.9911 | Yes | 405.35 | 302.3589
185 | 2018-12-03 | 17 | 10 | 122.8813 | Yes | 405.35 | 282.4687
186 | 2018-12-03 | 17 | 11 | 123.1949 | Yes | 405.35 | 282.1551
187 | 2018-12-03 | 17 | 12 | 155.1798 | Yes | 155.83 | 0.65025
188 | 2018-12-03 | 18 | 1 | 90.0478 | Yes | 405.35 | 315.3022
189 | 2018-12-03 | 18 | 2 | 88.3643 | Yes | 405.35 | 316.9857
190 | 2018-12-03 | 18 | 3 | 85.3256 | Yes | 405.35 | 320.0244
191 | 2018-12-03 | 18 | 4 | 85.3547 | Yes | 405.35 | 319.9953
192 | 2018-12-03 | 18 | 5 | 89.9392 | Yes | 405.35 | 315.4108
193 | 2018-12-03 | 18 | 6 | 88.1027 | Yes | 405.35 | 317.2473
194 | 2018-12-03 | 18 | 7 | 92.2865 | Yes | 405.35 | 313.0635
195 | 2018-12-03 | 18 | 8 | 91.2488 | Yes | 405.35 | 314.1012
196 | 2018-12-03 | 18 | 9 | 87.3687 | Yes | 405.35 | 317.9814
197 | 2018-12-03 | 18 | 10 | 88.8198 | Yes | 405.35 | 316.5302
198 | 2018-12-03 | 18 | 11 | 87.0766 | Yes | 405.35 | 318.2734
199 | 2018-12-03 | 18 | 12 | 84.3372 | Yes | 405.35 | 321.0128
200 | 2018-12-03 | 19 | 1 | 82.9441 | Yes | 405.35 | 322.4059
201 | 2018-12-03 | 19 | 2 | 82.9441 | Yes | 405.35 | 322.4059
202 | 2018-12-03 | 19 | 3 | 86.7397 | Yes | 405.35 | 318.6103
203 | 2018-12-03 | 19 | 4 | 91.9983 | Yes | 405.35 | 313.3517
204 | 2018-12-03 | 19 | 5 | 90.6628 | Yes | 405.35 | 314.6872
205 | 2018-12-03 | 19 | 6 | 91.932 | Yes | 405.35 | 313.418
206 | 2018-12-03 | 19 | 7 | 81.6407 | Yes | 405.35 | 323.7093
207 | 2018-12-03 | 19 | 8 | 82.1601 | Yes | 405.35 | 323.1899
208 | 2018-12-03 | 19 | 9 | 81.1946 | Yes | 405.35 | 324.1553
209 | 2018-12-03 | 19 | 10 | 83.0788 | Yes | 405.35 | 322.2712
210 | 2018-12-03 | 19 | 11 | 86.128 | Yes | 405.35 | 319.222
211 | 2018-12-03 | 19 | 12 | 86.5431 | Yes | 405.35 | 318.8069
212 | 2018-12-03 | 20 | 1 | 85.7581 | Yes | 405.35 | 319.5919
213 | 2018-12-03 | 20 | 2 | 85.7581 | Yes | 405.35 | 319.5919
214 | 2018-12-03 | 20 | 3 | 91.5645 | Yes | 405.35 | 313.7855
215 | 2018-12-03 | 20 | 4 | 96.5582 | Yes | 405.35 | 308.7918
216 | 2018-12-03 | 20 | 5 | 95.1094 | Yes | 405.35 | 310.2405
217 | 2018-12-03 | 20 | 6 | 96.5582 | Yes | 405.35 | 308.7918
218 | 2018-12-03 | 20 | 7 | 85.634 | Yes | 405.35 | 319.716
219 | 2018-12-03 | 20 | 8 | 85.9737 | Yes | 405.35 | 319.3763
220 | 2018-12-03 | 20 | 9 | 85.634 | Yes | 405.35 | 319.716
221 | 2018-12-03 | 20 | 10 | 84.1892 | Yes | 405.35 | 321.1608
222 | 2018-12-03 | 20 | 11 | 82.5897 | Yes | 405.35 | 322.7604
223 | 2018-12-03 | 20 | 12 | 78.1884 | Yes | 405.35 | 327.1616

## Bid_Mitigation
Table 10: Exceptional Dispatch Bid Mitigation Analysis Information
Type | Number of Resources | Costs without Bid Mitigation | Costs with Bid Mitigation | Cost Savings
NONTMOD | 0 | 0 | 0 | 0
TMODEL5 | 0 | 0 | 0 | 0
Total | 0 | 0 | 0 | 0