## Table 2
California Independent System Operator Corporation Exceptional Dispatch Report
Chart 2: Table of Exceptional Dispatches for December 2021
Number | Market Type | Reason | Location | Local Reliability Area | Trade Date | MW | Commitment | INC_DEC | Hours | Begin Time | End Time | Total MWH | Min Load cost | Startup Cost | CC6470 | ED MWH (INC/DEC) | CC6470 INC | CC6470 DEC | CC6482 | CC6488 | CC6620
1 | RT | Fast Start Unit Management | PGAE | Bay Area | 2021-12-22 | 0 | No | INC | 1 | 44552.8403 | 44552.875 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | RT | Fast Start Unit Management | SDGE | San Diego-IV | 2021-12-11 | 0 | No | DEC | 1 | 44541.75 | 44541.7917 | 33.7775 | 0 | 0 | -8839.9617 | 0 | 0 | 0 | 0 | 0 | 0
3 | RT | Fast Start Unit Management | SDGE | San Diego-IV | 2021-12-11 | 0 | No | INC | 5 | 44541.7917 | 44542 | -3.1583 | 0 | 0 | 189.2399 | 0 | 0 | 0 | 0 | 0 | 0
4 | RT | Fast Start Unit Management | SDGE | San Diego-IV | 2021-12-12 | 0 | No | DEC | 1 | 44542 | 44542.0417 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | RT | Fast Start Unit Management | SDGE | San Diego-IV | 2021-12-12 | 0 | No | INC | 5 | 44542.0417 | 44542.25 | -3.1573 | 0 | 0 | 168.2347 | 0 | 0 | 0 | 0 | 0 | 0
6 | RT | Incomplete or Inaccurate Transmission | PGAE | Humboldt | 2021-12-19 | 32 | No | DEC | 3 | 44549.7812 | 44549.8854 | 6.0285 | -5161.716 | 0 | -351.4588 | 0 | 0 | 0 | 0 | -26.3976 | 0
7 | RT | Incomplete or Inaccurate Transmission | SCE | NA | 2021-12-14 | 150 - 200 | No | INC | 1 | 44544.559 | 44544.5868 | 40.788 | 0 | 0 | -1431.4289 | -0.0725 | 0 | 0.01176 | 0 | 0 | 0
8 | RT | Incomplete or Inaccurate Transmission | SCE | NA | 2021-12-15 | 440 | No | DEC | 2 | 44545.8264 | 44545.875 | -3.2822 | 0 | 0 | 175.6199 | -4.4652 | 0 | 248.7994 | 0 | -0.35456 | 0
9 | RT | Incomplete or Inaccurate Transmission | SCE | NA | 2021-12-19 | 425 | No | DEC | 1 | 44549.8646 | 44549.875 | -3.1755 | 0 | 0 | -560.3762 | 0 | 0 | 0 | 0 | 0 | 0
10 | RT | Market Disruption | PGAE | Fresno | 2021-12-16 | 83 | Yes | INC | 4 | 44546 | 44546.1667 | 0 | 75007.1997 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | RT | Market Disruption | PGAE | Fresno | 2021-12-19 | 404 | No | INC | 1 | 44549.3021 | 44549.3333 | 191.5423 | 0 | 0 | -9617.2273 | 134.7923 | -6814.9198 | 0 | -1543.1453 | 0 | 0
12 | RT | Other Reliability Requirement | PGAE | Fresno | 2021-12-14 | 83 | No | DEC | 1 | 44544.8542 | 44544.875 | -48.0417 | 0 | 0 | 2546.8394 | -56.375 | 0 | 3554.7947 | 0 | 0 | 0
13 | RT | Other Reliability Requirement | PGAE | NA | 2021-12-10 | 0 | No | DEC | 2 | 44540.3854 | 44540.4653 | -2.1404 | 0 | 0 | -21.0749 | -2.2743 | 0 | -23.2209 | 0 | 0 | 0
14 | RT | Other Reliability Requirement | SCE | Big Creek-Ventura | 2021-12-25 | 269 | No | INC | 1 | 44555.3681 | 44555.3819 | 52.0625 | 0 | 0 | 47.6953 | 52.0625 | 47.6953 | 0 | -2333.5306 | 0 | 0
15 | RT | Planned Transmission Outage | PGAE | Bay Area | 2021-12-07 | 200 - 425 | No | DEC | 8 | 44537.4896 | 44537.7917 | -134.8292 | -75628.7322 | 0 | -14401.8109 | -136.9404 | 0 | -5849.9474 | 0 | -18883.5026 | 0
16 | RT | Planned Transmission Outage | PGAE | Bay Area | 2021-12-17 | 54 | No | DEC | 5 | 44547.5833 | 44547.7917 | 37.1579 | -34573.4292 | 0 | -258.6546 | 0 | 0 | 0 | 0 | 0 | 0
17 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-12-01 | 30 - 45 | No | DEC | 6 | 44531.625 | 44531.875 | 5.5556 | -6111.4389 | 0 | -331.1701 | 0 | 0 | 0 | 0 | -608.7247 | 0
18 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-12-01 | 30 - 45 | No | INC | 24 | 44531 | 44532 | -10.36 | 67072.8375 | 0 | 302.7927 | 0 | 0 | 0 | 0 | 0 | 0
19 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-12-02 | 15 - 45 | No | DEC | 21 | 44532.0625 | 44532.9167 | -20.1415 | 6291.2082 | 0 | 1109.4753 | 0 | 0 | 0 | 0 | 0 | 0
20 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-12-02 | 30 - 45 | No | INC | 24 | 44532 | 44533 | -4.3531 | 44876.885 | 0 | 25.3677 | 0 | 0 | 0 | 0 | 0 | 0
21 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-12-03 | 15 - 45 | No | DEC | 21 | 44533.0521 | 44533.9167 | -8.9431 | -4778.5302 | 0 | 435.1023 | 0 | 0 | 0 | 0 | 0 | 0
22 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-12-03 | 30 - 45 | No | INC | 24 | 44533 | 44534 | 8.9883 | 50679.3475 | 0 | -380.9979 | 0 | 0 | 0 | 0 | 0 | 0
23 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-12-04 | 15 - 45 | No | DEC | 20 | 44534.1042 | 44534.9167 | -10.3329 | -408.3165 | 0 | 389.7258 | 0 | 0 | 0 | 0 | 0 | 0
24 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-12-04 | 30 - 45 | No | INC | 24 | 44534 | 44535 | 0.77542 | 42071.045 | 0 | -56.1877 | 0 | 0 | 0 | 0 | 0 | 0
25 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-12-05 | 30 | No | DEC | 3 | 44535.7083 | 44535.8333 | -0.12583 | 7081.265 | 0 | -0.008441 | 0 | 0 | 0 | 0 | 0 | 0
26 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-12-05 | 30 - 45 | No | INC | 24 | 44535 | 44536 | -4.6325 | 49360.5825 | 0 | 169.2331 | 0 | 0 | 0 | 0 | 0 | 0
27 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-12-06 | 30 - 45 | No | DEC | 20 | 44536.125 | 44536.9583 | -0.38215 | -30878.385 | 0 | -143.0722 | 0 | 0 | 0 | 0 | 0 | 0
28 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-12-06 | 30 | No | INC | 24 | 44536 | 44537 | 0 | 9163.99 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-12-07 | 15 - 45 | No | DEC | 22 | 44537 | 44537.9167 | 7.9602 | -6801.51 | 0 | -337.6996 | 0 | 0 | 0 | 0 | 0 | 0
30 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-12-07 | 15 - 45 | No | INC | 24 | 44537 | 44538 | -13.9525 | 25841.25 | 0 | -535.447 | 0 | 0 | 0 | 0 | 0 | 0
31 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-12-08 | 30 - 45 | No | DEC | 6 | 44538.625 | 44538.875 | 10.9548 | 1793.184 | 0 | -480.0524 | 0 | 0 | 0 | 0 | 0 | 0
32 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-12-08 | 30 - 75 | No | INC | 24 | 44538 | 44539 | -20.9571 | 63583.74 | 0 | 417.086 | 0 | 0 | 0 | 0 | 0 | 0
33 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-12-09 | 30 - 60 | No | INC | 24 | 44539 | 44540 | 17.9521 | 101130.12 | 0 | -807.0655 | 0 | 0 | 0 | 0 | 0 | 0
34 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-12-10 | 15 | No | DEC | 1 | 44540.9583 | 44541 | -8.8129 | 465.3425 | 0 | 457.6001 | 0 | 0 | 0 | 0 | 0 | 0
35 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-12-10 | 45 - 75 | No | INC | 24 | 44540 | 44541 | -8.7948 | 143790.68 | 0 | 117.1843 | 0 | 0 | 0 | 0 | 0 | 0
36 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-12-11 | 15 - 45 | No | DEC | 8 | 44541 | 44541.3333 | 4.0675 | -5475.2333 | 0 | -183.0771 | 0 | 0 | 0 | 0 | 0 | 0
37 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-12-11 | 30 - 45 | No | INC | 19 | 44541.2326 | 44542 | -1.736 | 52986.8058 | 0 | -391.4798 | 0 | 0 | 0 | 0 | 0 | 0
38 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-12-12 | 30 - 45 | No | DEC | 8 | 44542.5833 | 44542.9167 | 4.9402 | -15939.5773 | 0 | -216.2323 | 0 | 0 | 0 | 0 | 0 | 0
39 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-12-12 | 30 - 45 | No | INC | 24 | 44542 | 44543 | 1.8829 | 47982.24 | 0 | -76.3748 | 0 | 0 | 0 | 0 | 0 | 0
40 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-12-13 | 30 - 60 | No | DEC | 23 | 44543.0312 | 44543.9583 | -35.1224 | -16734.9497 | 0 | 1549.8991 | 0 | 0 | 0 | 0 | 0 | 0
41 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-12-13 | 30 - 75 | No | INC | 24 | 44543 | 44544 | 23.6121 | 16522.19 | 0 | -535.0075 | 0 | 0 | 0 | 0 | -2.8089 | 0
42 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-12-14 | 28 | No | DEC | 17 | 44544.2083 | 44544.9167 | 6.5018 | -8568.8228 | 0 | -264.3615 | 0 | 0 | 0 | 0 | -1097.4131 | 0
43 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-12-14 | 28 - 90 | No | INC | 22 | 44544 | 44544.9167 | 53.1085 | 58657.1675 | 0 | -3290.9296 | -3.8155 | 0 | 158.5769 | 0 | -85.7264 | 0
44 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-12-16 | 30 - 60 | No | DEC | 5 | 44546.7708 | 44546.9583 | -2.2873 | -8308.7551 | 0 | 101.6126 | -0.9525 | 0 | 42.2482 | 0 | -1181.2868 | 0
45 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-12-16 | 30 - 60 | No | INC | 2 | 44546.9167 | 44547 | -2.3028 | 4366.1525 | 0 | 104.1863 | -1.1965 | 0 | 54.2573 | 0 | -32.9291 | 0
46 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-12-17 | 30 - 60 | No | DEC | 18 | 44547.2083 | 44547.9583 | 11.3401 | -14524.7376 | 0 | -689.2644 | 0 | 0 | 0 | 0 | -1935.4237 | 0
47 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-12-17 | 30 - 60 | No | INC | 24 | 44547 | 44548 | 2.5543 | 51326.4 | 0 | -113.7483 | -1.9258 | 0 | 77.9994 | 0 | -27.317 | 0
48 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-12-18 | 15 | No | DEC | 2 | 44548.9375 | 44549 | -3.7235 | 238.27 | 0 | 236.7646 | -0.29104 | 0 | 18.4829 | 0 | -89.0996 | 0
49 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-12-18 | 15 - 60 | No | INC | 24 | 44548 | 44549 | -14.7992 | 73625.26 | 0 | 863.6188 | -6.5575 | 0 | 368.6662 | 0 | -144.4435 | 0
50 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-12-19 | 15 | No | DEC | 17 | 44549 | 44549.6979 | -0.34385 | -7446.2772 | 0 | 13.223 | 0 | 0 | 0 | 0 | -236.127 | 0
51 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-12-19 | 15 | No | INC | 14 | 44549 | 44549.5833 | -0.30204 | 11436.96 | 0 | 14.1059 | 0 | 0 | 0 | 0 | 0 | 0
52 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-12-20 | 75 | No | DEC | 1 | 44550.3958 | 44550.4167 | 0 | -595.4424 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
53 | RT | Planned Transmission Outage | PGAE | NA | 2021-12-08 | 48.95 | No | DEC | 1 | 44538.625 | 44538.6667 | -22.8214 | 0 | 0 | 732.1083 | 0 | 0 | 0 | 0 | 0 | 0
54 | RT | Planned Transmission Outage | PGAE | NA | 2021-12-08 | 48.95 | No | INC | 2 | 44538.5521 | 44538.625 | 86.2395 | 2630.595 | 0 | -6608.0323 | 0 | 0 | 0 | 0 | 0 | 0
55 | RT | Planned Transmission Outage | PGAE | Sierra | 2021-12-09 | 2 | No | DEC | 1 | 44539.2743 | 44539.2951 | -51.5369 | 0 | 0 | 2782.6022 | -50.1917 | 0 | 2699.6871 | 0 | -7557.1761 | 0
56 | RT | Planned Transmission Outage | PGAE | Sierra | 2021-12-09 | 2 | No | INC | 1 | 44539.3576 | 44539.3958 | 6.6717 | 0 | 0 | -351.0618 | 0 | 0 | 0 | 0 | 0 | 0
57 | RT | Planned Transmission Outage | PGAE | Sierra | 2021-12-10 | 100 | No | DEC | 1 | 44540.7083 | 44540.75 | -19.9784 | 0 | 0 | 1149.5707 | -12.0475 | 0 | 690.322 | 0 | -64.9905 | 0
58 | RT | Planned Transmission Outage | PGAE | Sierra | 2021-12-10 | 100 | No | INC | 6 | 44540.4722 | 44540.7083 | 56.076 | 0 | 0 | -1989.5303 | 0 | 0 | 0 | 0 | 0 | 0
59 | RT | Planned Transmission Outage | PGAE | Sierra | 2021-12-30 | 30 | No | DEC | 4 | 44560.8507 | 44561 | -2.5 | 0 | 0 | 148.677 | -2.9167 | 0 | 172.7826 | 0 | 0 | 0
60 | RT | Planned Transmission Outage | PGAE | Sierra | 2021-12-30 | 9 | No | INC | 2 | 44560.941 | 44561 | -3.4167 | 0 | 0 | 200.6142 | -3.3333 | 0 | 196.6172 | 0 | 0 | 0
61 | RT | Planned Transmission Outage | PGAE | Sierra | 2021-12-31 | 16 - 44 | No | DEC | 8 | 44561.691 | 44562 | -6.7363 | 0 | 0 | 494.2175 | -9.3333 | 0 | 676.9336 | 0 | -2050.9766 | 0
62 | RT | Planned Transmission Outage | PGAE | Sierra | 2021-12-31 | 44 | No | INC | 2 | 44561.9167 | 44562 | 1.3479 | 0 | 0 | -78.4905 | 0 | 0 | 0 | 0 | 0 | 0
63 | RT | Planned Transmission Outage | PGAE | Stockton | 2021-12-08 | 89 | No | INC | 7 | 44538.3333 | 44538.625 | -12.5208 | 46259.4375 | 0 | 580.807 | 0 | 0 | 0 | 0 | -24.2709 | 0
64 | RT | Planned Transmission Outage | SCE | Big Creek-Ventura | 2021-12-17 | 53.9 | Yes | INC | 1 | 44547.4271 | 44547.4583 | 4.4917 | 4070.37 | 0 | -241.3516 | 0 | 0 | 0 | 0 | 0 | 0
65 | RT | Planned Transmission Outage | SCE | LA Basin | 2021-12-17 | 147 - 151 | No | INC | 8 | 44547.2917 | 44547.625 | 156.75 | 107629.5499 | 31831.26 | -9928.072 | 3.7302 | -171.1843 | 0 | 0 | -485.8753 | 0
66 | RT | Reliability Assessment | PGAE | Humboldt | 2021-12-14 | 30 - 60 | No | DEC | 1 | 44544.9236 | 44544.9583 | -2.3017 | -574.6822 | 0 | 139.1822 | 0 | 0 | 0 | 0 | 0 | 0
67 | RT | Reliability Assessment | PGAE | Humboldt | 2021-12-14 | 30 - 60 | No | INC | 1 | 44544.9583 | 44545 | -3.6254 | 3776.2125 | 0 | 174.8161 | 0 | 0 | 0 | 0 | 0 | 0
68 | RT | Reliability Assessment | PGAE | Humboldt | 2021-12-15 | 30 - 60 | No | DEC | 9 | 44545.5833 | 44545.9583 | -4.178 | -8086.7511 | 0 | 200.6848 | 0 | 0 | 0 | 0 | 0 | 0
69 | RT | Reliability Assessment | PGAE | Humboldt | 2021-12-15 | 30 - 84 | No | INC | 24 | 44545 | 44546 | 12.8928 | 66252.9 | 0 | -493.3096 | 0 | 0 | 0 | 0 | 0 | 0
70 | RT | Reliability Assessment | PGAE | Humboldt | 2021-12-16 | 30 - 60 | No | DEC | 4 | 44546.625 | 44546.7708 | -1.1744 | -3139.839 | 0 | 85.6972 | 0 | 0 | 0 | 0 | 0 | 0
71 | RT | Reliability Assessment | PGAE | Humboldt | 2021-12-16 | 30 - 70 | No | INC | 16 | 44546 | 44546.6667 | -10.7725 | 70088.2375 | 0 | 108.269 | 0 | 0 | 0 | 0 | 0 | 0
72 | RT | Reliability Assessment | PGAE | Humboldt | 2021-12-19 | 30 | No | DEC | 1 | 44549.9549 | 44549.9583 | 0 | -258.0871 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
73 | RT | Reliability Assessment | PGAE | Humboldt | 2021-12-19 | 30 | No | INC | 1 | 44549.9583 | 44550 | -0.30694 | 2382.695 | 0 | 16.3035 | 0 | 0 | 0 | 0 | 0 | 0
74 | RT | Reliability Assessment | PGAE | Humboldt | 2021-12-20 | 15 - 45 | No | DEC | 24 | 44550 | 44551 | -6.2473 | -85000.474 | 0 | -202.2413 | 0 | 0 | 0 | 0 | 0 | 0
75 | RT | Reliability Assessment | PGAE | Humboldt | 2021-12-20 | 15 | No | INC | 1 | 44550.5 | 44550.5417 | -0.67792 | 953.08 | 0 | 33.0275 | 0 | 0 | 0 | 0 | 0 | 0
76 | RT | Reliability Assessment | PGAE | Humboldt | 2021-12-21 | 15 - 45 | No | DEC | 23 | 44551 | 44551.9583 | -9.3769 | -130109.9073 | 0 | 421.3962 | 0 | 0 | 0 | 0 | 0 | 0
77 | RT | Reliability Assessment | PGAE | Humboldt | 2021-12-21 | 15 - 45 | No | INC | 1 | 44551.9583 | 44552 | -0.67792 | 2139.42 | 0 | 42.4059 | 0 | 0 | 0 | 0 | 0 | 0
78 | RT | Reliability Assessment | PGAE | Humboldt | 2021-12-22 | 15 - 45 | No | DEC | 20 | 44552.1667 | 44553 | -17.3042 | -80466.1116 | 0 | 1034.4018 | 0 | 0 | 0 | 0 | 0 | 0
79 | RT | Reliability Assessment | PGAE | Humboldt | 2021-12-22 | 15 - 45 | No | INC | 24 | 44552 | 44553 | -8.2858 | 14453.7625 | 0 | 505.0728 | 0 | 0 | 0 | 0 | 0 | 0
80 | RT | Reliability Assessment | PGAE | Humboldt | 2021-12-23 | 15 | No | DEC | 24 | 44553 | 44554 | -3.3896 | 317.78 | 0 | 210.0386 | 0 | 0 | 0 | 0 | 0 | 0
81 | RT | Reliability Assessment | PGAE | Humboldt | 2021-12-23 | 15 - 30 | No | INC | 24 | 44553 | 44554 | 3.9071 | 40040.5 | 0 | -238.3906 | 0 | 0 | 0 | 0 | 0 | 0
82 | RT | Reliability Assessment | PGAE | Humboldt | 2021-12-24 | 15 | No | DEC | 24 | 44554 | 44555 | -0.93927 | 0 | 0 | -24.5528 | 0 | 0 | 0 | 0 | 0 | 0
83 | RT | Reliability Assessment | PGAE | Humboldt | 2021-12-24 | 15 | No | INC | 24 | 44554 | 44555 | -0.93927 | 26238.24 | 0 | -24.3037 | 0 | 0 | 0 | 0 | 0 | 0
84 | RT | Reliability Assessment | PGAE | Humboldt | 2021-12-25 | 15 | No | DEC | 24 | 44555 | 44556 | -3.0441 | 0 | 0 | -47.0806 | 0 | 0 | 0 | 0 | 0 | 0
85 | RT | Reliability Assessment | PGAE | Humboldt | 2021-12-25 | 15 | No | INC | 24 | 44555 | 44556 | -2.6591 | 26238.24 | 0 | -48.3055 | 0 | 0 | 0 | 0 | 0 | 0
86 | RT | Reliability Assessment | PGAE | Humboldt | 2021-12-26 | 15 | No | DEC | 17 | 44556 | 44556.6875 | -0.635 | 0 | 0 | -50.4782 | 0 | 0 | 0 | 0 | 0 | 0
87 | RT | Reliability Assessment | PGAE | Humboldt | 2021-12-26 | 15 - 30 | No | INC | 24 | 44556 | 44557 | 3.2885 | 31704.54 | 0 | -366.6394 | 0 | 0 | 0 | 0 | 0 | 0
88 | RT | Reliability Assessment | PGAE | Humboldt | 2021-12-27 | 15 | No | DEC | 5 | 44557.1146 | 44557.3056 | -3.406 | 273.315 | 0 | 199.1044 | -0.29104 | 0 | 5.815 | 0 | 0 | 0
89 | RT | Reliability Assessment | PGAE | Humboldt | 2021-12-27 | 15 - 60 | No | INC | 12 | 44557 | 44557.4688 | 26.349 | 29518.02 | 0 | -2104.395 | -1.0877 | 0 | 21.7324 | 0 | 0 | 0
90 | RT | Reliability Assessment | PGAE | Humboldt | 2021-12-31 | 15 | No | DEC | 1 | 44561.9792 | 44562 | -3.3896 | 283.885 | 0 | 197.3157 | 0 | 0 | 0 | 0 | 0 | 0
91 | RT | Reliability Assessment | PGAE | Humboldt | 2021-12-31 | 15 - 30 | No | INC | 6 | 44561.7535 | 44561.9792 | -0.23531 | 7286.3817 | 0 | 16.1183 | 0 | 0 | 0 | 0 | 0 | 0
92 | RT | Reliability Assessment | PGAE | Sierra | 2021-12-07 | 40 | No | DEC | 1 | 44537.2396 | 44537.25 | 1.9583 | 0 | 0 | -86.503 | 0 | 0 | 0 | 0 | 0 | 0
93 | RT | Reliability Assessment | PGAE | Sierra | 2021-12-07 | 40 | No | INC | 2 | 44537.25 | 44537.3333 | 0 | 6374.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
94 | RT | Reliability Assessment | PGAE | Sierra | 2021-12-21 | 20 | No | DEC | 6 | 44551.7396 | 44551.9583 | 15.1717 | 0 | 0 | -1073.92 | 0 | 0 | 0 | 0 | 0 | 0
95 | RT | Reliability Assessment | PGAE | Sierra | 2021-12-21 | 20 | No | INC | 4 | 44551.7396 | 44551.875 | 6.8494 | 8990.9625 | 0 | -493.4266 | 0 | 0 | 0 | 0 | 0 | 0
96 | RT | Reliability Assessment | SCE | NA | 2021-12-14 | 460 | No | DEC | 2 | 44544.7882 | 44544.8333 | -24.7549 | 0 | 0 | 1690.1455 | -5.6656 | 0 | 385.2012 | 0 | 0 | 0
97 | RT | Reliability Assessment | SCE | NA | 2021-12-14 | 460 | No | INC | 2 | 44544.8333 | 44544.9167 | 3.2104 | 0 | 0 | -521.9314 | 0 | 0 | 0 | 0 | 0 | 0
98 | RT | Reliability Assessment | SCE | NA | 2021-12-19 | 425 | No | DEC | 1 | 44549.8333 | 44549.875 | -49.9464 | 0 | 0 | -22068.8329 | -36.7499 | 0 | -16854.4885 | 0 | 0 | 0
99 | RT | Reliability Assessment | SCE | NA | 2021-12-20 | 460 | No | DEC | 5 | 44550.6736 | 44550.875 | -61.8962 | -9910.5124 | 0 | 3900.0713 | -34.1236 | 0 | 1988.9577 | 0 | 0 | 0
100 | RT | Reliability Assessment | SCE | NA | 2021-12-20 | 460 | No | INC | 6 | 44550.75 | 44551 | -36.0141 | -4779.5398 | 0 | 2262.5315 | 0 | 0 | 0 | 0 | 0 | 0
101 | RT | Reliability Assessment | SCE | NA | 2021-12-22 | 0 - 0.1 | No | INC | 1 | 44552.5486 | 44552.5833 | 16.2186 | 0 | 0 | -335.519 | 0 | 0 | 0 | 0 | 0 | 0
102 | RT | Reliability Assessment | SCE | NA | 2021-12-29 | 450 | No | DEC | 8 | 44559.6979 | 44560 | -16.0323 | -14029.47 | 0 | 363.3388 | -5.9153 | 0 | -973.3226 | 0 | 0 | 0
103 | RT | Reliability Assessment | SCE | NA | 2021-12-29 | 450 | No | INC | 1 | 44559.7083 | 44559.75 | -5.7118 | 0 | 0 | 390.3694 | 0 | 0 | 0 | 0 | 0 | 0
104 | RT | Reliability Assessment | SCE | NA | 2021-12-30 | 425 - 475 | No | DEC | 24 | 44560 | 44561 | -25.6197 | -16381.2288 | 0 | -5238.0545 | -24.5666 | 0 | -5965.9142 | 0 | 0 | 0
105 | RT | Reliability Assessment | SCE | NA | 2021-12-30 | 425 - 450 | No | INC | 19 | 44560.0417 | 44560.8333 | -11.0772 | -5638.3686 | 0 | 655.6881 | -1.515 | 0 | 98.5488 | 0 | 0 | 0
106 | RT | Reliability Assessment | SCE | NA | 2021-12-31 | 475 | No | DEC | 1 | 44561 | 44561.0417 | 13.6831 | -4740.88 | 0 | -702.0853 | 0 | 0 | 0 | 0 | 0 | 0
107 | RT | Reliability Assessment | SCE | NA | 2021-12-31 | 475 | No | INC | 1 | 44561.0417 | 44561.0729 | -18.5765 | -3555.66 | 0 | 1005.3838 | 0 | 0 | 0 | 0 | 0 | 0
108 | RT | Reverse Commitment Instruction | PGAE | Fresno | 2021-12-27 | 0 | No | INC | 1 | 44557.0833 | 44557.0868 | 2.0833 | 0 | 0 | -130.1356 | 0 | 0 | 0 | 0 | 0 | 0
109 | RT | Software Limitation | PGAE | NA | 2021-12-01 | 0 | No | INC | 3 | 44531.1076 | 44531.1979 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
110 | RT | Software Limitation | PGAE | NA | 2021-12-03 | 300 | No | DEC | 2 | 44533.4722 | 44533.5417 | -114.1277 | 0 | 0 | -2521.8093 | -167.3469 | 0 | -1708.6114 | 0 | 0 | 0
111 | RT | Software Limitation | SDGE | San Diego-IV | 2021-12-03 | 0 | No | DEC | 1 | 44533.4653 | 44533.5 | -0.44258 | 0 | 0 | -167.9203 | -3.8288 | 0 | -32.0849 | 0 | 0 | 0
112 | RT | Software Limitation | SDGE | San Diego-IV | 2021-12-15 | 460 | No | DEC | 3 | 44545.1667 | 44545.2812 | -59.9991 | 0 | 0 | 4176.3627 | 0 | 0 | 0 | 0 | 0 | 0
113 | RT | Software Limitation | SDGE | San Diego-IV | 2021-12-15 | 460 | No | INC | 3 | 44545.0799 | 44545.1667 | -139.8175 | 0 | 0 | 6735.4838 | 0 | 0 | 0 | 0 | 0 | 0
114 | RT | Unit Testing | Intertie | NA | 2021-12-01 | 10 - 130 | No | INC | 24 | 44531 | 44532 | 4892.0991 | 0 | 0 | -142276.4059 | 4880.6291 | -141745.9573 | 0 | 0 | 0 | 0
115 | RT | Unit Testing | Intertie | NA | 2021-12-02 | 10 - 125 | No | INC | 23 | 44532 | 44532.9583 | 2467.6976 | 0 | 0 | -67627.3728 | 2464.2893 | -67457.3223 | 0 | 0 | 0 | 0
116 | RT | Unit Testing | Intertie | NA | 2021-12-03 | 5.3 - 110 | No | INC | 11 | 44533.25 | 44533.7083 | 988.0021 | 0 | 0 | -24858.4236 | 984.6605 | -24728.9888 | 0 | 0 | 0 | 0
117 | RT | Unit Testing | Intertie | NA | 2021-12-04 | 50 - 100 | No | INC | 17 | 44534.2917 | 44535 | 901.0902 | 0 | 0 | -28437.3316 | 899.7514 | -28409.2951 | 0 | 0 | 0 | 0
118 | RT | Unit Testing | Intertie | NA | 2021-12-05 | 60 - 155 | No | INC | 19 | 44535.1667 | 44535.9583 | 1075.3814 | 0 | 0 | -40466.9254 | 1071.941 | -40377.6509 | 0 | 0 | 0 | 0
119 | RT | Unit Testing | Intertie | NA | 2021-12-07 | 35 | No | INC | 9 | 44537.2917 | 44537.6667 | 290.1029 | 0 | 0 | -31558.8201 | 290.1029 | -31558.8201 | 0 | 0 | 0 | 0
120 | RT | Unit Testing | Intertie | NA | 2021-12-08 | 122 | No | INC | 11 | 44538.25 | 44538.7083 | 1033.0829 | 0 | 0 | -19052.9001 | 1033.0829 | -19052.9001 | 0 | 0 | 0 | 0
121 | RT | Unit Testing | Intertie | NA | 2021-12-10 | 140 | No | INC | 9 | 44540.2917 | 44540.6667 | 987.5125 | 0 | 0 | -26546.1794 | 987.5125 | -26546.1794 | 0 | 0 | 0 | 0
122 | RT | Unit Testing | Intertie | NA | 2021-12-11 | 15 - 130 | No | INC | 10 | 44541.25 | 44541.6667 | 1084.8459 | 0 | 0 | -21541.4172 | 1081.4084 | -21377.9854 | 0 | 0 | 0 | 0
123 | RT | Unit Testing | Intertie | NA | 2021-12-12 | 15 - 130 | No | INC | 11 | 44542.25 | 44542.7083 | 1092.6167 | 0 | 0 | -20249.8522 | 1089.475 | -20092.5907 | 0 | 0 | 0 | 0
124 | RT | Unit Testing | Intertie | NA | 2021-12-13 | 15 - 55 | No | INC | 3 | 44543.625 | 44543.75 | 98.6042 | 0 | 0 | -6100.7135 | 98.6042 | -6100.7135 | 0 | 0 | 0 | 0
125 | RT | Unit Testing | Intertie | NA | 2021-12-14 | 10 - 55 | No | INC | 9 | 44544.2917 | 44544.6667 | 244.275 | 0 | 0 | -11629.0872 | 242.6208 | -11535.7756 | 0 | 0 | 0 | 0
126 | RT | Unit Testing | Intertie | NA | 2021-12-15 | 61 - 118 | No | INC | 10 | 44545.3333 | 44545.75 | 1018.225 | 0 | 0 | -30688.2339 | 1016.8708 | -30663.948 | 0 | 0 | 0 | 0
127 | RT | Unit Testing | Intertie | NA | 2021-12-16 | 30 - 120 | No | INC | 9 | 44546.2917 | 44546.6667 | 803.8083 | 0 | 0 | -25935.3402 | 801.5125 | -25826.8074 | 0 | 0 | 0 | 0
128 | RT | Unit Testing | Intertie | NA | 2021-12-17 | 30 - 135 | No | INC | 10 | 44547.2917 | 44547.7083 | 1063.8042 | 0 | 0 | -41040.269 | 1063.8042 | -41040.269 | 0 | 0 | 0 | 0
129 | RT | Unit Testing | Intertie | NA | 2021-12-18 | 17 - 135 | No | INC | 9 | 44548.2917 | 44548.6667 | 997.2875 | 0 | 0 | -29298.8999 | 995.8542 | -29243.7116 | 0 | 0 | 0 | 0
130 | RT | Unit Testing | Intertie | NA | 2021-12-19 | 50 - 135 | No | INC | 4 | 44549.5417 | 44549.7083 | 451.4583 | 0 | 0 | -12085.7042 | 451.4583 | -12085.7042 | 0 | 0 | 0 | 0
131 | RT | Unit Testing | PGAE | NA | 2021-12-04 | 515 | No | INC | 3 | 44534.3229 | 44534.4375 | 8.675 | 0 | 0 | -380.9935 | -0.125 | 0 | 4.5247 | 0 | 0 | 0
132 | RT | Unit Testing | PGAE | NA | 2021-12-09 | 466 | No | DEC | 1 | 44539.6701 | 44539.7083 | -58.9947 | -13371 | 0 | 3609.6016 | -43.8833 | -38.6603 | 2809.8946 | 0 | 0 | 0
133 | RT | Unit Testing | SCE | Big Creek-Ventura | 2021-12-24 | 191.86 | No | INC | 1 | 44554.0521 | 44554.0729 | 8.3752 | 0 | 0 | -1010.6363 | 8.3752 | -1010.6363 | 0 | 0 | 0 | 0
134 | RT | Unit Testing | SCE | LA Basin | 2021-12-21 | 248.5 | No | DEC | 1 | 44551.8403 | 44551.8611 | 27.8056 | -7221.725 | 0 | -2189.9769 | 6.4167 | -498.5414 | 0 | 0 | 0 | 0
135 | RT | Unit Testing | SCE | NA | 2021-12-24 | 114 - 114.9 | No | INC | 2 | 44554.0556 | 44554.125 | 132.54 | 0 | 0 | -5895.8725 | 132.115 | -5876.4045 | 0 | 0 | 0 | 0
136 | RT | Unit Testing | SDGE | San Diego-IV | 2021-12-24 | 20 | No | INC | 1 | 44554.8472 | 44554.8646 | 7.7083 | 0 | 0 | -376.4795 | 7.7083 | -376.4795 | 0 | 0 | 0 | 0
137 | RT | Voltage Support | PGAE | Fresno | 2021-12-04 | -309 | No | DEC | 6 | 44534.0625 | 44534.2917 | 25.75 | 0 | 0 | -1153.5209 | 0 | 0 | 0 | 0 | 0 | 0
138 | RT | Voltage Support | PGAE | Fresno | 2021-12-05 | -309 | No | DEC | 5 | 44535.0208 | 44535.2083 | -138.2583 | 0 | 0 | 5812.059 | 0 | 0 | 0 | 0 | 0 | 0
139 | RT | Voltage Support | PGAE | Fresno | 2021-12-05 | 83 | Yes | INC | 3 | 44535.2188 | 44535.3125 | -121.8929 | 23686.47 | 5700.931 | 5472.1889 | 0 | 0 | 0 | 0 | 0 | 0
140 | RT | Voltage Support | PGAE | Fresno | 2021-12-06 | 83 | No | INC | 6 | 44536.0104 | 44536.25 | 63.599 | 75500.61 | 0 | -2784.8394 | 0 | 0 | 0 | 0 | 0 | 0
141 | RT | Voltage Support | PGAE | Fresno | 2021-12-12 | -310 | No | DEC | 5 | 44542.1319 | 44542.3333 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
142 | RT | Voltage Support | PGAE | Fresno | 2021-12-13 | -310 | No | DEC | 3 | 44543.1354 | 44543.2396 | 7.5 | 0 | 0 | -348.5263 | 0 | 0 | 0 | 0 | 0 | 0
143 | RT | Voltage Support | PGAE | Fresno | 2021-12-20 | -317 | No | DEC | 3 | 44550.0556 | 44550.1667 | -206.5458 | 0 | 0 | 11448.271 | 0 | 0 | 0 | 0 | 0 | 0
144 | RT | Voltage Support | PGAE | Fresno | 2021-12-24 | -309 | No | DEC | 2 | 44554.0035 | 44554.0833 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
145 | RT | Voltage Support | PGAE | Fresno | 2021-12-25 | -327 | No | DEC | 2 | 44555.9375 | 44556 | -76.4417 | 0 | 0 | 3831.454 | 0 | 0 | 0 | 0 | 0 | 0
146 | RT | Voltage Support | PGAE | Fresno | 2021-12-26 | -327 | No | DEC | 9 | 44556 | 44556.375 | -13.3375 | 0 | 0 | 776.0232 | 0 | 0 | 0 | 0 | 0 | 0
147 | RT | Voltage Support | PGAE | Fresno | 2021-12-27 | -327 | No | DEC | 6 | 44557.0208 | 44557.2396 | 21.4125 | 0 | 0 | -1269.8788 | 0 | 0 | 0 | 0 | 0 | 0
148 | RT | Voltage Support | PGAE | Fresno | 2021-12-28 | -310 | No | DEC | 3 | 44558.1528 | 44558.2396 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
149 | RT | Voltage Support | PGAE | Fresno | 2021-12-31 | 83 | No | INC | 2 | 44561.2049 | 44561.25 | 22.1095 | 9800.83 | 0 | -1067.7303 | 0 | 0 | 0 | 0 | 0 | 0
150 | RT | Voltage Support | PGAE | Humboldt | 2021-12-19 | 15 - 45 | No | DEC | 8 | 44549.684 | 44550 | 10.5935 | -24076.5733 | 949.51 | -882.2724 | 0 | 0 | 0 | 0 | 0 | 0
151 | RT | Voltage Support | PGAE | Humboldt | 2021-12-19 | 45 | No | INC | 1 | 44549.9583 | 44549.9688 | 0 | 714.8075 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
152 | RT | Voltage Support | PGAE | Humboldt | 2021-12-20 | 30 - 75 | No | DEC | 17 | 44550 | 44550.6979 | -1.2008 | -9865.354 | 0 | 65.9456 | 0 | 0 | 0 | 0 | 0 | 0
153 | RT | Voltage Support | PGAE | Humboldt | 2021-12-27 | 15 | No | DEC | 1 | 44557.1701 | 44557.1771 | 0.013229 | 0 | 0 | -0.66074 | 0 | 0 | 0 | 0 | 0 | 0
154 | RT | Voltage Support | PGAE | Humboldt | 2021-12-30 | 15 - 30 | No | DEC | 8 | 44560.5833 | 44560.9167 | -4.8112 | -38751.5664 | 1274.3133 | 297.2713 | 0 | 0 | 0 | 0 | 0 | 0
155 | RT | Voltage Support | PGAE | Humboldt | 2021-12-30 | 15 - 75 | No | INC | 15 | 44560.3854 | 44561 | 26.8554 | 23278.5875 | 424.7711 | -1320.1471 | 0 | 0 | 0 | 0 | 0 | 0
156 | RT | Voltage Support | PGAE | Humboldt | 2021-12-31 | 15 | No | DEC | 9 | 44561.3854 | 44561.7292 | -5.3375 | 283.885 | 0 | 276.6988 | 0 | 0 | 0 | 0 | 0 | 0
157 | RT | Voltage Support | PGAE | Humboldt | 2021-12-31 | 15 - 30 | No | INC | 22 | 44561 | 44561.9028 | 3.9929 | 22048.4017 | 0 | -373.5606 | 0 | 0 | 0 | 0 | 0 | 0
158 | RT | Voltage Support | PGAE | Sierra | 2021-12-01 | 40 | No | DEC | 1 | 44531.2361 | 44531.25 | 1.9583 | 0 | 0 | -89.1472 | 0 | 0 | 0 | 0 | 0 | 0
159 | RT | Voltage Support | PGAE | Sierra | 2021-12-01 | 20 - 40 | No | INC | 9 | 44531 | 44531.375 | -27.4592 | 10292.43 | 0 | 1191.9457 | 0 | 0 | 0 | 0 | 0 | 0
160 | RT | Voltage Support | PGAE | Sierra | 2021-12-02 | 20 | No | INC | 24 | 44532.0208 | 44533 | -56.5875 | 5156.3533 | 0 | 2747.4589 | 0 | 0 | 0 | 0 | 0 | 0
161 | RT | Voltage Support | PGAE | Sierra | 2021-12-03 | 20 | Yes | INC | 24 | 44533 | 44534 | -117.6692 | 7289.2 | 0 | 5861.5596 | 0 | 0 | 0 | 0 | 0 | 0
162 | RT | Voltage Support | PGAE | Sierra | 2021-12-04 | 20 | No | INC | 7 | 44534 | 44534.2917 | -18.0967 | 2216.45 | 0 | 859.2707 | 0 | 0 | 0 | 0 | 0 | 0
163 | RT | Voltage Support | PGAE | Sierra | 2021-12-06 | 20 | No | INC | 7 | 44536.0208 | 44536.2917 | -9.8667 | -562.7075 | 0 | 555.8003 | 0 | 0 | 0 | 0 | 0 | 0
164 | RT | Voltage Support | PGAE | Sierra | 2021-12-07 | 20 | No | DEC | 2 | 44537.875 | 44537.9583 | 3.5333 | 0 | 0 | -200.305 | 0 | 0 | 0 | 0 | 0 | 0
165 | RT | Voltage Support | PGAE | Sierra | 2021-12-07 | 20 | No | INC | 5 | 44537.8229 | 44538 | -13.5125 | 2203.95 | 0 | 721.8089 | 0 | 0 | 0 | 0 | 0 | 0
166 | RT | Voltage Support | PGAE | Sierra | 2021-12-08 | 20 | No | DEC | 2 | 44538.875 | 44538.9583 | -1.7906 | 0 | 0 | 94.4595 | 0 | 0 | 0 | 0 | 0 | 0
167 | RT | Voltage Support | PGAE | Sierra | 2021-12-08 | 20 | No | INC | 24 | 44538 | 44539 | -19.8631 | 8585.3167 | 0 | 1063.2998 | 0 | 0 | 0 | 0 | 0 | 0
168 | RT | Voltage Support | PGAE | Sierra | 2021-12-09 | 40 | No | DEC | 1 | 44539.2396 | 44539.25 | 1.9583 | 0 | 0 | -90.8869 | 0 | 0 | 0 | 0 | 0 | 0
169 | RT | Voltage Support | PGAE | Sierra | 2021-12-09 | 20 - 40 | Yes | INC | 9 | 44539 | 44539.375 | -9.04 | 12810.49 | 0 | 463.1073 | 0 | 0 | 0 | 0 | 0 | 0
170 | RT | Voltage Support | PGAE | Sierra | 2021-12-10 | 40 | No | DEC | 1 | 44540.2431 | 44540.25 | 1.9583 | 0 | 0 | -105.9535 | 0 | 0 | 0 | 0 | 0 | 0
171 | RT | Voltage Support | PGAE | Sierra | 2021-12-10 | 40 | No | INC | 3 | 44540.25 | 44540.375 | -5.25 | 10546.95 | 0 | 165.8077 | 0 | 0 | 0 | 0 | 0 | 0
172 | RT | Voltage Support | PGAE | Sierra | 2021-12-11 | 40 | No | DEC | 1 | 44541.2396 | 44541.25 | 1.9583 | 0 | 0 | -100.7112 | 0 | 0 | 0 | 0 | 0 | 0
173 | RT | Voltage Support | PGAE | Sierra | 2021-12-11 | 20 - 40 | No | INC | 14 | 44541.25 | 44541.8333 | -39.2098 | 21564.88 | 0 | 2102.0992 | 0 | 0 | 0 | 0 | 0 | 0
174 | RT | Voltage Support | PGAE | Sierra | 2021-12-12 | 20 - 40 | No | DEC | 18 | 44542.2361 | 44542.9583 | -16.7583 | 0 | 0 | 939.681 | 0 | 0 | 0 | 0 | 0 | 0
175 | RT | Voltage Support | PGAE | Sierra | 2021-12-12 | 20 - 40 | No | INC | 18 | 44542.25 | 44543 | -118.8797 | 36198.325 | 0 | 5561.5788 | 0 | 0 | 0 | 0 | 0 | 0
176 | RT | Voltage Support | PGAE | Sierra | 2021-12-13 | 20 - 40 | No | DEC | 18 | 44543.2083 | 44543.9583 | -49.3 | 0 | 0 | 2637.2731 | 0 | 0 | 0 | 0 | 0 | 0
177 | RT | Voltage Support | PGAE | Sierra | 2021-12-13 | 20 - 40 | No | INC | 24 | 44543 | 44544 | -6.9506 | 36767.33 | 0 | 367.5672 | 0 | 0 | 0 | 0 | 0 | 0
178 | RT | Voltage Support | PGAE | Sierra | 2021-12-14 | 40 | No | DEC | 1 | 44544.2396 | 44544.25 | 1.9583 | 0 | 0 | -101.9192 | 0 | 0 | 0 | 0 | 0 | 0
179 | RT | Voltage Support | PGAE | Sierra | 2021-12-14 | 20 - 40 | Yes | INC | 17 | 44544 | 44544.7083 | 12.1942 | 28012.06 | 0 | -670.374 | 0 | 0 | 0 | 0 | 0 | 0
180 | RT | Voltage Support | PGAE | Sierra | 2021-12-15 | 20 - 40 | No | DEC | 7 | 44545.6667 | 44545.9583 | 3.0975 | 0 | 0 | -240.3579 | 0 | 0 | 0 | 0 | 0 | 0
181 | RT | Voltage Support | PGAE | Sierra | 2021-12-15 | 20 - 40 | No | INC | 18 | 44545.2569 | 44546 | 0.96 | 38836.0917 | 0 | -568.1127 | 0 | 0 | 0 | 0 | 0 | 0
182 | RT | Voltage Support | PGAE | Sierra | 2021-12-16 | 20 | No | DEC | 19 | 44546.2083 | 44547 | -30.7217 | 0 | 0 | 1726.2269 | -18.4 | 0 | 1116.3838 | 0 | -1624.5935 | 0
183 | RT | Voltage Support | PGAE | Sierra | 2021-12-16 | 20 | No | INC | 7 | 44546 | 44546.2917 | -16.4775 | 2402.38 | 0 | 812.7891 | 0 | 0 | 0 | 0 | 0 | 0
184 | RT | Voltage Support | PGAE | Sierra | 2021-12-17 | 20 | No | DEC | 18 | 44547.2083 | 44547.9583 | 0 | 0 | 0 | 0.74665 | 0 | 0 | 0 | 0 | -177.4247 | 0
185 | RT | Voltage Support | PGAE | Sierra | 2021-12-17 | 20 | No | INC | 24 | 44547 | 44548 | -8.9631 | 2397.7 | 0 | 451.9905 | 0 | 0 | 0 | 0 | 0 | 0
186 | RT | Voltage Support | PGAE | Sierra | 2021-12-18 | 20 | No | DEC | 1 | 44548.2083 | 44548.25 | -24.4667 | 0 | 0 | 1216.4861 | 0 | 0 | 0 | 0 | 0 | 0
187 | RT | Voltage Support | PGAE | Sierra | 2021-12-18 | 20 | No | INC | 7 | 44548 | 44548.2917 | -8.0706 | 2472.7 | 0 | 445.3476 | 0 | 0 | 0 | 0 | 0 | 0
188 | RT | Voltage Support | PGAE | Sierra | 2021-12-19 | 40 | No | INC | 10 | 44549.25 | 44549.6667 | 170.2867 | 20924.82 | 0 | -7995.0724 | 0 | 0 | 0 | 0 | 0 | 0
189 | RT | Voltage Support | PGAE | Sierra | 2021-12-31 | 40 | No | INC | 2 | 44561.25 | 44561.3229 | -8.4167 | 6243.81 | 885.42 | 442.1877 | 0 | 0 | 0 | 0 | 0 | 0

## Price_Impact_A
Table 8: Price Impact Analysis Information for Pricing Node A in PGAE LAP
Number | Trade Date | Trade Hour | Interval | Market LMP | Eligible Flag | Calculated LMP | Change in LMP
1 | 2021-12-03 | 12 | 5 | 39.69 | Yes | -10.21 | -49.9
2 | 2021-12-03 | 12 | 6 | 50.91 | Yes | -10.21 | -61.12
3 | 2021-12-03 | 12 | 7 | 2.7558 | Yes | -10.21 | -12.9658
4 | 2021-12-03 | 12 | 8 | -10.21 | Yes | -10.21 | 0
5 | 2021-12-03 | 12 | 9 | -7.1276 | Yes | -10.21 | -3.0824
6 | 2021-12-03 | 12 | 10 | -1.9947 | Yes | -10.21 | -8.2153
7 | 2021-12-03 | 12 | 11 | 15.0323 | Yes | -10.21 | -25.2423
8 | 2021-12-03 | 12 | 12 | 26.0252 | Yes | -10.21 | -36.2352
9 | 2021-12-03 | 13 | 1 | 29.5484 | Yes | -10.21 | -39.7584
10 | 2021-12-03 | 13 | 2 | 29.671 | Yes | -10.21 | -39.881
11 | 2021-12-03 | 13 | 3 | 29.3364 | Yes | -10.21 | -39.5464
12 | 2021-12-03 | 13 | 4 | 23.5517 | Yes | -10.21 | -33.7617
13 | 2021-12-03 | 13 | 5 | 30.6178 | Yes | -10.21 | -40.8278
14 | 2021-12-03 | 13 | 6 | 29.4012 | Yes | -10.21 | -39.6112
15 | 2021-12-03 | 13 | 7 | 23.1244 | Yes | -10.21 | -33.3344
16 | 2021-12-03 | 13 | 8 | 6.7046 | Yes | -10.21 | -16.9146
17 | 2021-12-03 | 13 | 9 | 3.1632 | Yes | -10.21 | -13.3732
18 | 2021-12-03 | 13 | 10 | 19.2065 | Yes | -10.21 | -29.4165
19 | 2021-12-03 | 13 | 11 | 6.9606 | Yes | -10.21 | -17.1706
20 | 2021-12-03 | 13 | 12 | 17.046 | Yes | -10.21 | -27.256

## Price_Impact_B
Table 9: Price Impact Analysis Information for Pricing Node B in SCE LAP
Number | Trade Date | Trade Hour | Interval | Market LMP | Eligible Flag | Calculated LMP | Change in LMP
1 | 2021-12-14 | 19 | 12 | 61.7982 | Yes | 65.91 | 4.1118
2 | 2021-12-14 | 20 | 1 | 63.65 | Yes | 65.91 | 2.26
3 | 2021-12-14 | 20 | 2 | 63.3714 | Yes | 65.91 | 2.5386
4 | 2021-12-14 | 20 | 3 | 63.59 | Yes | 65.91 | 2.32
5 | 2021-12-14 | 20 | 4 | 65.1501 | Yes | 65.91 | 0.7599
6 | 2021-12-14 | 20 | 5 | 74.5868 | Yes | 65.91 | -8.6768
7 | 2021-12-14 | 20 | 6 | 74.0709 | Yes | 65.91 | -8.1609
8 | 2021-12-14 | 20 | 7 | 74.1431 | Yes | 65.91 | -8.2331
9 | 2021-12-14 | 20 | 8 | 73.0914 | Yes | 65.91 | -7.1814
10 | 2021-12-14 | 20 | 9 | 71.0246 | Yes | 65.91 | -5.1146
11 | 2021-12-14 | 20 | 10 | 64.3381 | Yes | 65.91 | 1.5719
12 | 2021-12-14 | 20 | 11 | 64.0399 | Yes | 65.91 | 1.8701
13 | 2021-12-14 | 20 | 12 | 63.664 | Yes | 65.91 | 2.246
14 | 2021-12-14 | 21 | 1 | 73.9562 | Yes | 65.91 | -8.0462
15 | 2021-12-14 | 21 | 2 | 76.6378 | Yes | 65.91 | -10.7278
16 | 2021-12-14 | 21 | 3 | 77.4857 | Yes | 65.91 | -11.5757
17 | 2021-12-14 | 21 | 4 | 98.4503 | Yes | 65.91 | -32.5403
18 | 2021-12-14 | 21 | 5 | 94.3216 | Yes | 65.91 | -28.4116
19 | 2021-12-14 | 21 | 6 | 124.4408 | Yes | 65.91 | -58.5308
20 | 2021-12-14 | 21 | 7 | 164.0841 | Yes | 65.91 | -98.1741
21 | 2021-12-14 | 21 | 8 | 114.9848 | Yes | 65.91 | -49.0748
22 | 2021-12-14 | 21 | 9 | 97.9615 | Yes | 65.91 | -32.0515
23 | 2021-12-14 | 21 | 10 | 97.9009 | Yes | 65.91 | -31.9909
24 | 2021-12-14 | 21 | 11 | 103.392 | Yes | 65.91 | -37.482
25 | 2021-12-14 | 21 | 12 | 104.6687 | Yes | 65.91 | -38.7587
26 | 2021-12-15 | 20 | 11 | 55.762 | Yes | 61.57 | 5.808
27 | 2021-12-15 | 20 | 12 | 55.272 | Yes | 61.57 | 6.298
28 | 2021-12-15 | 21 | 1 | 59.301 | Yes | 58.84 | -0.461
29 | 2021-12-15 | 21 | 2 | 60.6533 | Yes | 58.84 | -1.8133
30 | 2021-12-15 | 21 | 3 | 58.4366 | Yes | 58.84 | 0.40336
31 | 2021-12-15 | 21 | 4 | 62.4353 | Yes | 58.84 | -3.5953
32 | 2021-12-15 | 21 | 5 | 61.5738 | Yes | 58.84 | -2.7338
33 | 2021-12-15 | 21 | 6 | 64.3417 | Yes | 58.84 | -5.5017
34 | 2021-12-15 | 21 | 7 | 62.9264 | Yes | 58.84 | -4.0864
35 | 2021-12-15 | 21 | 8 | 59.6842 | Yes | 58.84 | -0.84425
36 | 2021-12-15 | 21 | 9 | 58.5915 | Yes | 58.84 | 0.2485
37 | 2021-12-15 | 21 | 10 | 58.2344 | Yes | 58.84 | 0.60562
38 | 2021-12-15 | 21 | 11 | 57.9022 | Yes | 58.84 | 0.9378
39 | 2021-12-15 | 21 | 12 | 57.8572 | Yes | 58.84 | 0.98278
40 | 2021-12-19 | 21 | 1 | -604.6022 | Yes | 71.96 | 676.5622
41 | 2021-12-19 | 21 | 2 | -605.7178 | Yes | 71.96 | 677.6778
42 | 2021-12-19 | 21 | 3 | -609.0449 | Yes | 71.96 | 681.0049
43 | 2021-12-19 | 21 | 4 | -608.1676 | Yes | 71.96 | 680.1276
44 | 2021-12-19 | 21 | 5 | -608.9269 | Yes | 71.96 | 680.8869
45 | 2021-12-19 | 21 | 6 | -610.5044 | Yes | 71.96 | 682.4644
46 | 2021-12-19 | 21 | 7 | -117.4661 | Yes | 71.96 | 189.4261
47 | 2021-12-19 | 21 | 8 | -209.979 | Yes | 71.96 | 281.939
48 | 2021-12-19 | 21 | 9 | -171.4796 | Yes | 71.96 | 243.4396
49 | 2021-12-19 | 21 | 10 | -179.7862 | Yes | 71.96 | 251.7463
50 | 2021-12-19 | 21 | 11 | -181.3604 | Yes | 71.96 | 253.3204
51 | 2021-12-19 | 21 | 12 | -168.3313 | Yes | 71.96 | 240.2913
52 | 2021-12-20 | 17 | 3 | 56.1559 | Yes | 75.63 | 19.4742
53 | 2021-12-20 | 17 | 4 | 57.584 | Yes | 75.63 | 18.046
54 | 2021-12-20 | 17 | 5 | 58.9579 | Yes | 75.63 | 16.6721
55 | 2021-12-20 | 17 | 6 | 59.7384 | Yes | 75.63 | 15.8916
56 | 2021-12-20 | 17 | 7 | 63.0731 | Yes | 75.63 | 12.557
57 | 2021-12-20 | 17 | 8 | 64.875 | Yes | 75.63 | 10.755
58 | 2021-12-20 | 17 | 9 | 68.5218 | Yes | 75.63 | 7.1082
59 | 2021-12-20 | 17 | 10 | 72.2926 | Yes | 75.63 | 3.3374
60 | 2021-12-20 | 17 | 11 | 76.6303 | Yes | 75.63 | -1.0003
61 | 2021-12-20 | 17 | 12 | 78.3083 | Yes | 75.63 | -2.6783
62 | 2021-12-20 | 18 | 1 | 64.3552 | Yes | 75.63 | 11.2748
63 | 2021-12-20 | 18 | 2 | 66.9614 | Yes | 75.63 | 8.6686
64 | 2021-12-20 | 18 | 3 | 66.6807 | Yes | 75.63 | 8.9493
65 | 2021-12-20 | 18 | 4 | 69.2625 | Yes | 75.63 | 6.3675
66 | 2021-12-20 | 18 | 5 | 71.0063 | Yes | 75.63 | 4.6237
67 | 2021-12-20 | 18 | 6 | 73.1142 | Yes | 75.63 | 2.5158
68 | 2021-12-20 | 18 | 7 | 81.9843 | Yes | 75.63 | -6.3543
69 | 2021-12-20 | 18 | 8 | 80.9247 | Yes | 75.63 | -5.2947
70 | 2021-12-20 | 18 | 9 | 81.3995 | Yes | 75.63 | -5.7695
71 | 2021-12-20 | 18 | 10 | 81.4555 | Yes | 75.63 | -5.8255
72 | 2021-12-20 | 18 | 11 | 79.6152 | Yes | 75.63 | -3.9852
73 | 2021-12-20 | 18 | 12 | 76.871 | Yes | 75.63 | -1.241
74 | 2021-12-20 | 19 | 1 | 70.1316 | Yes | 75.63 | 5.4984
75 | 2021-12-20 | 19 | 2 | 69.7799 | Yes | 75.63 | 5.8501
76 | 2021-12-20 | 19 | 3 | 68.5873 | Yes | 75.63 | 7.0427
77 | 2021-12-20 | 19 | 4 | 69.2696 | Yes | 75.63 | 6.3604
78 | 2021-12-20 | 19 | 5 | 68.8786 | Yes | 75.63 | 6.7514
79 | 2021-12-20 | 19 | 6 | 68.8309 | Yes | 75.63 | 6.7991
80 | 2021-12-20 | 19 | 7 | 69.3756 | Yes | 75.63 | 6.2544
81 | 2021-12-20 | 19 | 8 | 72.256 | Yes | 75.63 | 3.374
82 | 2021-12-20 | 19 | 9 | 71.4135 | Yes | 75.63 | 4.2165
83 | 2021-12-20 | 19 | 10 | 70.3189 | Yes | 75.63 | 5.3111
84 | 2021-12-20 | 19 | 11 | 68.6927 | Yes | 75.63 | 6.9373
85 | 2021-12-20 | 19 | 12 | 68.151 | Yes | 75.63 | 7.479
86 | 2021-12-20 | 20 | 1 | 66.423 | Yes | 75.63 | 9.207
87 | 2021-12-20 | 20 | 2 | 67.6492 | Yes | 75.63 | 7.9808
88 | 2021-12-20 | 20 | 3 | 65.5737 | Yes | 75.63 | 10.0563
89 | 2021-12-20 | 20 | 4 | 68.7411 | Yes | 75.63 | 6.8889
90 | 2021-12-20 | 20 | 5 | 69.6845 | Yes | 75.63 | 5.9455
91 | 2021-12-20 | 20 | 6 | -176.2136 | Yes | 75.63 | 251.8436
92 | 2021-12-20 | 20 | 7 | -320.9574 | Yes | 75.63 | 396.5874
93 | 2021-12-20 | 20 | 8 | -350.0461 | Yes | 75.63 | 425.6761
94 | 2021-12-20 | 20 | 9 | -362.0658 | Yes | 75.63 | 437.6958
95 | 2021-12-29 | 17 | 10 | -219.5149 | Yes | 74.58 | 294.0949
96 | 2021-12-29 | 17 | 11 | -149.3757 | Yes | 74.58 | 223.9557
97 | 2021-12-29 | 17 | 12 | -131.6096 | Yes | 74.58 | 206.1896
98 | 2021-12-29 | 18 | 1 | 66.3146 | Yes | 74.58 | 8.2654
99 | 2021-12-29 | 18 | 2 | 68.7685 | Yes | 74.58 | 5.8115
100 | 2021-12-29 | 18 | 3 | 67.7884 | Yes | 74.58 | 6.7916
101 | 2021-12-29 | 18 | 4 | 69.2483 | Yes | 74.58 | 5.3317
102 | 2021-12-29 | 18 | 5 | 69.5527 | Yes | 74.58 | 5.0273
103 | 2021-12-29 | 18 | 6 | 69.8271 | Yes | 74.58 | 4.7529
104 | 2021-12-29 | 18 | 7 | -269.3402 | Yes | 74.58 | 343.9202
105 | 2021-12-29 | 18 | 8 | -595.9358 | Yes | 74.58 | 670.5158
106 | 2021-12-29 | 18 | 9 | -595.2617 | Yes | 74.58 | 669.8417
107 | 2021-12-29 | 18 | 10 | 69.4463 | Yes | 74.58 | 5.1337
108 | 2021-12-29 | 18 | 11 | 67.8153 | Yes | 74.58 | 6.7647
109 | 2021-12-29 | 18 | 12 | 67.5831 | Yes | 74.58 | 6.9969
110 | 2021-12-29 | 19 | 1 | -601.5862 | Yes | 74.58 | 676.1662
111 | 2021-12-29 | 19 | 2 | -604.3533 | Yes | 74.58 | 678.9334
112 | 2021-12-29 | 19 | 3 | -605.2704 | Yes | 74.58 | 679.8504
113 | 2021-12-29 | 19 | 4 | -603.9556 | Yes | 74.58 | 678.5355
114 | 2021-12-29 | 19 | 5 | -603.6131 | Yes | 74.58 | 678.1931
115 | 2021-12-29 | 19 | 6 | -601.4464 | Yes | 74.58 | 676.0264
116 | 2021-12-29 | 19 | 7 | -601.4796 | Yes | 74.58 | 676.0596
117 | 2021-12-29 | 19 | 8 | -601.3987 | Yes | 74.58 | 675.9787
118 | 2021-12-29 | 19 | 9 | -601.4729 | Yes | 74.58 | 676.053
119 | 2021-12-29 | 19 | 10 | -601.6022 | Yes | 74.58 | 676.1822
120 | 2021-12-29 | 19 | 11 | -601.7202 | Yes | 74.58 | 676.3002
121 | 2021-12-29 | 19 | 12 | -601.7202 | Yes | 74.58 | 676.3002
122 | 2021-12-29 | 20 | 1 | -220.1945 | Yes | 74.58 | 294.7745
123 | 2021-12-29 | 20 | 2 | -233.8014 | Yes | 74.58 | 308.3814
124 | 2021-12-29 | 20 | 3 | -258.4286 | Yes | 74.58 | 333.0086
125 | 2021-12-29 | 20 | 4 | -597.1686 | Yes | 74.58 | 671.7486
126 | 2021-12-29 | 20 | 5 | -597.492 | Yes | 74.58 | 672.072
127 | 2021-12-29 | 20 | 6 | -599.4932 | Yes | 74.58 | 674.0732
128 | 2021-12-29 | 20 | 7 | -599.7277 | Yes | 74.58 | 674.3077
129 | 2021-12-29 | 20 | 8 | -600.5933 | Yes | 74.58 | 675.1733
130 | 2021-12-29 | 20 | 9 | -600.5933 | Yes | 74.58 | 675.1733
131 | 2021-12-29 | 20 | 10 | -599.3014 | Yes | 74.58 | 673.8814
132 | 2021-12-29 | 20 | 11 | -600.471 | Yes | 74.58 | 675.051
133 | 2021-12-29 | 20 | 12 | -600.7443 | Yes | 74.58 | 675.3243
134 | 2021-12-29 | 21 | 1 | 75.7774 | Yes | 74.58 | -1.1974
135 | 2021-12-29 | 21 | 2 | 75.7774 | Yes | 74.58 | -1.1974
136 | 2021-12-29 | 21 | 3 | 75.2384 | Yes | 74.58 | -0.65842
137 | 2021-12-29 | 21 | 4 | 75.3202 | Yes | 74.58 | -0.74022
138 | 2021-12-29 | 21 | 5 | 73.4516 | Yes | 74.58 | 1.1284
139 | 2021-12-29 | 21 | 6 | 71.5118 | Yes | 74.58 | 3.0682
140 | 2021-12-29 | 21 | 7 | 70.9121 | Yes | 74.58 | 3.6679
141 | 2021-12-29 | 21 | 8 | 70.5615 | Yes | 74.58 | 4.0185
142 | 2021-12-29 | 21 | 9 | 70.154 | Yes | 74.58 | 4.426
143 | 2021-12-29 | 21 | 10 | 70.111 | Yes | 74.58 | 4.469
144 | 2021-12-29 | 21 | 11 | 70.111 | Yes | 74.58 | 4.469
145 | 2021-12-29 | 21 | 12 | 69.5652 | Yes | 74.58 | 5.0148
146 | 2021-12-29 | 22 | 1 | -147.7592 | Yes | 74.58 | 222.3392
147 | 2021-12-29 | 22 | 2 | -147.7646 | Yes | 74.58 | 222.3446
148 | 2021-12-29 | 22 | 3 | -147.902 | Yes | 74.58 | 222.482
149 | 2021-12-29 | 22 | 4 | -147.9769 | Yes | 74.58 | 222.5569
150 | 2021-12-29 | 22 | 5 | -148.0069 | Yes | 74.58 | 222.5869
151 | 2021-12-29 | 22 | 6 | -148.0069 | Yes | 74.58 | 222.5869
152 | 2021-12-29 | 22 | 7 | -148.1604 | Yes | 74.58 | 222.7404
153 | 2021-12-29 | 22 | 8 | -148.1868 | Yes | 74.58 | 222.7668
154 | 2021-12-29 | 22 | 9 | -148.1954 | Yes | 74.58 | 222.7754
155 | 2021-12-29 | 22 | 10 | -148.222 | Yes | 74.58 | 222.802
156 | 2021-12-29 | 22 | 11 | -148.2279 | Yes | 74.58 | 222.8079
157 | 2021-12-29 | 22 | 12 | -148.2722 | Yes | 74.58 | 222.8522
158 | 2021-12-29 | 23 | 1 | -151.1172 | Yes | 74.58 | 225.6972
159 | 2021-12-29 | 23 | 2 | -151.0855 | Yes | 74.58 | 225.6655
160 | 2021-12-29 | 23 | 3 | -151.0785 | Yes | 74.58 | 225.6585
161 | 2021-12-29 | 23 | 4 | -151.0378 | Yes | 74.58 | 225.6179
162 | 2021-12-29 | 23 | 5 | -150.9939 | Yes | 74.58 | 225.5739
163 | 2021-12-29 | 23 | 6 | -150.9905 | Yes | 74.58 | 225.5705
164 | 2021-12-29 | 23 | 7 | -150.9905 | Yes | 74.58 | 225.5705
165 | 2021-12-29 | 23 | 8 | -150.9915 | Yes | 74.58 | 225.5715
166 | 2021-12-29 | 23 | 9 | -150.9817 | Yes | 74.58 | 225.5616
167 | 2021-12-29 | 23 | 10 | -150.9749 | Yes | 74.58 | 225.5549
168 | 2021-12-29 | 23 | 11 | -150.9721 | Yes | 74.58 | 225.5521
169 | 2021-12-29 | 23 | 12 | -150.9649 | Yes | 74.58 | 225.545
170 | 2021-12-29 | 24 | 1 | 52.478 | Yes | 74.58 | 22.102
171 | 2021-12-29 | 24 | 2 | -148.2799 | Yes | 74.58 | 222.8599
172 | 2021-12-29 | 24 | 3 | -148.2834 | Yes | 74.58 | 222.8634
173 | 2021-12-29 | 24 | 4 | 52.2691 | Yes | 74.58 | 22.3109
174 | 2021-12-29 | 24 | 5 | 51.6499 | Yes | 74.58 | 22.9301
175 | 2021-12-29 | 24 | 6 | 51.0444 | Yes | 74.58 | 23.5356
176 | 2021-12-29 | 24 | 7 | 50.0285 | Yes | 74.58 | 24.5515
177 | 2021-12-29 | 24 | 8 | 51.1615 | Yes | 74.58 | 23.4185
178 | 2021-12-29 | 24 | 9 | 51.6786 | Yes | 74.58 | 22.9014
179 | 2021-12-29 | 24 | 10 | 51.3165 | Yes | 74.58 | 23.2634
180 | 2021-12-29 | 24 | 11 | 51.3411 | Yes | 74.58 | 23.2389
181 | 2021-12-29 | 24 | 12 | 51.9512 | Yes | 74.58 | 22.6288
182 | 2021-12-30 | 1 | 1 | 52.3116 | Yes | 74.79 | 22.4784
183 | 2021-12-30 | 1 | 2 | 52.3508 | Yes | 74.79 | 22.4392
184 | 2021-12-30 | 1 | 3 | 52.2883 | Yes | 74.79 | 22.5017
185 | 2021-12-30 | 1 | 4 | 53.5781 | Yes | 74.79 | 21.2119
186 | 2021-12-30 | 1 | 5 | 53.8623 | Yes | 74.79 | 20.9277
187 | 2021-12-30 | 1 | 6 | 53.8974 | Yes | 74.79 | 20.8926
188 | 2021-12-30 | 1 | 7 | 53.3261 | Yes | 74.79 | 21.4639
189 | 2021-12-30 | 1 | 8 | 53.1596 | Yes | 74.79 | 21.6304
190 | 2021-12-30 | 1 | 9 | 52.7898 | Yes | 74.79 | 22.0002
191 | 2021-12-30 | 1 | 10 | 52.4195 | Yes | 74.79 | 22.3705
192 | 2021-12-30 | 1 | 11 | 52.2265 | Yes | 74.79 | 22.5635
193 | 2021-12-30 | 1 | 12 | 52.9813 | Yes | 74.79 | 21.8087
194 | 2021-12-30 | 2 | 1 | 52.5942 | Yes | 74.79 | 22.1958
195 | 2021-12-30 | 2 | 2 | 52.074 | Yes | 74.79 | 22.716
196 | 2021-12-30 | 2 | 3 | 52.566 | Yes | 74.79 | 22.224
197 | 2021-12-30 | 2 | 4 | 52.2646 | Yes | 74.79 | 22.5254
198 | 2021-12-30 | 2 | 5 | 52.205 | Yes | 74.79 | 22.585
199 | 2021-12-30 | 2 | 6 | 52.0842 | Yes | 74.79 | 22.7058
200 | 2021-12-30 | 2 | 7 | 51.6899 | Yes | 74.79 | 23.1001
201 | 2021-12-30 | 2 | 8 | 51.6043 | Yes | 74.79 | 23.1857
202 | 2021-12-30 | 2 | 9 | 52.2885 | Yes | 74.79 | 22.5015
203 | 2021-12-30 | 17 | 6 | -618.4958 | Yes | 65.47 | 683.9658
204 | 2021-12-30 | 17 | 7 | -615.4617 | Yes | 65.47 | 680.9317
205 | 2021-12-30 | 17 | 8 | -613.9974 | Yes | 65.47 | 679.4674
206 | 2021-12-30 | 17 | 9 | -612.443 | Yes | 65.47 | 677.913
207 | 2021-12-30 | 17 | 10 | -608.4054 | Yes | 65.47 | 673.8755
208 | 2021-12-30 | 17 | 11 | 65.9752 | Yes | 65.47 | -0.50523
209 | 2021-12-30 | 17 | 12 | 65.5031 | Yes | 65.47 | -0.03307
210 | 2021-12-30 | 18 | 1 | 60.1089 | Yes | 65.47 | 5.3611
211 | 2021-12-30 | 18 | 2 | 60.1089 | Yes | 65.47 | 5.3611
212 | 2021-12-30 | 18 | 3 | 62.3418 | Yes | 65.47 | 3.1282
213 | 2021-12-30 | 18 | 4 | 63.7673 | Yes | 65.47 | 1.7027
214 | 2021-12-30 | 18 | 5 | 65.0103 | Yes | 65.47 | 0.45967
215 | 2021-12-30 | 18 | 6 | 63.9979 | Yes | 65.47 | 1.4721
216 | 2021-12-30 | 18 | 7 | 62.3726 | Yes | 65.47 | 3.0974
217 | 2021-12-30 | 18 | 8 | 60.0759 | Yes | 65.47 | 5.3941
218 | 2021-12-30 | 18 | 9 | 60.0759 | Yes | 65.47 | 5.3941
219 | 2021-12-30 | 18 | 10 | 60.691 | Yes | 65.47 | 4.779
220 | 2021-12-30 | 18 | 11 | 60.2031 | Yes | 65.47 | 5.2669
221 | 2021-12-30 | 18 | 12 | 59.6962 | Yes | 65.47 | 5.7739
222 | 2021-12-30 | 19 | 1 | 65.363 | Yes | 65.47 | 0.10697
223 | 2021-12-30 | 19 | 2 | 64.703 | Yes | 65.47 | 0.76705
224 | 2021-12-30 | 19 | 3 | 65.0801 | Yes | 65.47 | 0.38992
225 | 2021-12-30 | 19 | 4 | 65.1479 | Yes | 65.47 | 0.32206
226 | 2021-12-30 | 19 | 5 | 64.3821 | Yes | 65.47 | 1.0879
227 | 2021-12-30 | 19 | 6 | 64.1611 | Yes | 65.47 | 1.3089
228 | 2021-12-30 | 19 | 7 | 63.6773 | Yes | 65.47 | 1.7927
229 | 2021-12-30 | 19 | 8 | 63.6784 | Yes | 65.47 | 1.7915
230 | 2021-12-30 | 19 | 9 | 63.3446 | Yes | 65.47 | 2.1254
231 | 2021-12-30 | 19 | 10 | 63.6197 | Yes | 65.47 | 1.8503
232 | 2021-12-30 | 19 | 11 | 62.9069 | Yes | 65.47 | 2.5631
233 | 2021-12-30 | 19 | 12 | 62.4682 | Yes | 65.47 | 3.0018
234 | 2021-12-30 | 20 | 1 | 67.6188 | Yes | 65.47 | -2.1488
235 | 2021-12-30 | 20 | 2 | 64.3153 | Yes | 65.47 | 1.1547
236 | 2021-12-30 | 20 | 3 | 63.7721 | Yes | 65.47 | 1.6979
237 | 2021-12-30 | 20 | 4 | 62.6296 | Yes | 65.47 | 2.8404
238 | 2021-12-30 | 20 | 5 | 61.4647 | Yes | 65.47 | 4.0053
239 | 2021-12-30 | 20 | 6 | 61.3101 | Yes | 65.47 | 4.1599
240 | 2021-12-30 | 20 | 7 | 60.2154 | Yes | 65.47 | 5.2546
241 | 2021-12-30 | 20 | 8 | 60.2948 | Yes | 65.47 | 5.1752
242 | 2021-12-30 | 20 | 9 | 61.2792 | Yes | 65.47 | 4.1908
243 | 2021-12-30 | 20 | 10 | 61.2647 | Yes | 65.47 | 4.2053
244 | 2021-12-30 | 20 | 11 | 61.6788 | Yes | 65.47 | 3.7912
245 | 2021-12-30 | 20 | 12 | 61.6046 | Yes | 65.47 | 3.8654
246 | 2021-12-30 | 21 | 1 | 63.2931 | Yes | 65.47 | 2.1769
247 | 2021-12-30 | 21 | 2 | 63.428 | Yes | 65.47 | 2.0421
248 | 2021-12-30 | 21 | 3 | 63.4602 | Yes | 65.47 | 2.0098
249 | 2021-12-30 | 21 | 4 | 65.4315 | Yes | 65.47 | 0.03853
250 | 2021-12-30 | 21 | 5 | 65.5635 | Yes | 65.47 | -0.09348
251 | 2021-12-30 | 21 | 6 | 63.7341 | Yes | 65.47 | 1.7359
252 | 2021-12-30 | 21 | 7 | 63.6435 | Yes | 65.47 | 1.8265
253 | 2021-12-30 | 21 | 8 | 64.0404 | Yes | 65.47 | 1.4296
254 | 2021-12-30 | 21 | 9 | 62.285 | Yes | 65.47 | 3.185
255 | 2021-12-30 | 21 | 10 | 61.5578 | Yes | 65.47 | 3.9122
256 | 2021-12-30 | 21 | 11 | 63.1833 | Yes | 65.47 | 2.2867
257 | 2021-12-30 | 21 | 12 | 62.992 | Yes | 65.47 | 2.478
258 | 2021-12-30 | 22 | 1 | 69.0209 | Yes | 65.47 | -3.5509
259 | 2021-12-30 | 22 | 2 | 68.8721 | Yes | 65.47 | -3.4021
260 | 2021-12-30 | 22 | 3 | 68.56 | Yes | 65.47 | -3.0899
261 | 2021-12-30 | 22 | 4 | 68.955 | Yes | 65.47 | -3.485
262 | 2021-12-30 | 22 | 5 | 68.295 | Yes | 65.47 | -2.825
263 | 2021-12-30 | 22 | 6 | 68.5572 | Yes | 65.47 | -3.0872
264 | 2021-12-30 | 22 | 7 | 63.7976 | Yes | 65.47 | 1.6724
265 | 2021-12-30 | 22 | 8 | 61.3306 | Yes | 65.47 | 4.1394
266 | 2021-12-30 | 22 | 9 | 61.7488 | Yes | 65.47 | 3.7212
267 | 2021-12-30 | 22 | 10 | 60.0489 | Yes | 65.47 | 5.4211
268 | 2021-12-30 | 22 | 11 | 60.2745 | Yes | 65.47 | 5.1955
269 | 2021-12-30 | 22 | 12 | 59.6968 | Yes | 65.47 | 5.7732
270 | 2021-12-30 | 23 | 1 | 70.3061 | Yes | 65.47 | -4.8361
271 | 2021-12-30 | 23 | 2 | 65.6401 | Yes | 65.47 | -0.17006
272 | 2021-12-30 | 23 | 3 | 65.6814 | Yes | 65.47 | -0.21143
273 | 2021-12-30 | 23 | 4 | 66.862 | Yes | 65.47 | -1.392
274 | 2021-12-30 | 23 | 5 | 68.0386 | Yes | 65.47 | -2.5686
275 | 2021-12-30 | 23 | 6 | 70.1651 | Yes | 65.47 | -4.6951
276 | 2021-12-30 | 23 | 7 | 63.5566 | Yes | 65.47 | 1.9134
277 | 2021-12-30 | 23 | 8 | 63.1028 | Yes | 65.47 | 2.3672
278 | 2021-12-30 | 23 | 9 | 62.2877 | Yes | 65.47 | 3.1823
279 | 2021-12-30 | 23 | 10 | 62.2024 | Yes | 65.47 | 3.2676
280 | 2021-12-30 | 23 | 11 | 62.0885 | Yes | 65.47 | 3.3815
281 | 2021-12-30 | 23 | 12 | 62.0988 | Yes | 65.47 | 3.3712
282 | 2021-12-30 | 24 | 1 | 56.9443 | Yes | 65.47 | 8.5257
283 | 2021-12-30 | 24 | 2 | 54.6013 | Yes | 65.47 | 10.8687
284 | 2021-12-30 | 24 | 3 | 57.1263 | Yes | 65.47 | 8.3437
285 | 2021-12-30 | 24 | 4 | 57.189 | Yes | 65.47 | 8.281
286 | 2021-12-30 | 24 | 5 | 56.4861 | Yes | 65.47 | 8.9839
287 | 2021-12-30 | 24 | 6 | 53.6061 | Yes | 65.47 | 11.8639
288 | 2021-12-30 | 24 | 7 | 51.1215 | Yes | 65.47 | 14.3485
289 | 2021-12-30 | 24 | 8 | 50.3825 | Yes | 65.47 | 15.0875

## Bid_Mitigation
Table 10: Exceptional Dispatch Bid Mitigation Analysis Information
Type | Number of Resources | Costs without Bid Mitigation | Costs with Bid Mitigation | Cost Savings
NONTMOD | 2 | 0 | 0 | 0
Total | 2 | 0 | 0 | 0