## Table 2
California Independent System Operator Corporation Exceptional Dispatch Report
Chart 2: Table of Exceptional Dispatches for February 2020
Number | Market Type | Reason | Location | Local Reliability Area | Trade Date | MW | Commitment | INC_DEC | Hours | Begin Time | End Time | Total MWH | Min Load cost | Startup Cost | CC6470 | ED MWH (INC/DEC) | CC6470 INC | CC6470 DEC | CC6482 | CC6488 | CC6620
1 | RT | Fast Start Unit Management | PGAE | Bay Area | 2020-02-19 | 0 | No | INC | 2 | 43880.684 | 43880.7292 | -43.4075 | 0 | 0 | 333.1764 | -142.64 | 0 | 333.1764 | 0 | 0 | 0
2 | RT | Fast Start Unit Management | SCE | Big Creek-Ventura | 2020-02-20 | 0 | No | INC | 1 | 43881.1667 | 43881.2083 | -35.325 | 907.555 | 0 | 0 | -70.65 | 0 | 0 | 0 | 0 | 0
3 | RT | Fast Start Unit Management | SCE | LA Basin | 2020-02-20 | 0 | No | INC | 1 | 43881.1667 | 43881.2083 | -68.8425 | 1772.46 | 0 | 0 | -137.685 | 0 | 0 | 0 | 0 | 0
4 | RT | Incomplete or Inaccurate Transmission | PGAE | Humboldt | 2020-02-04 | 15 - 45 | No | INC | 17 | 43865.2812 | 43865.9583 | -2.7022 | 25228.6425 | 0 | -54.2276 | -2.0108 | 0 | 15.1637 | 0 | -11.6075 | 0
5 | RT | Incomplete or Inaccurate Transmission | PGAE | Humboldt | 2020-02-08 | 15 | No | INC | 4 | 43869.7743 | 43869.9167 | 2.9936 | 1976.7475 | 0 | -88.9318 | 0 | 0 | 0 | 0 | 0 | 0
6 | RT | Incomplete or Inaccurate Transmission | PGAE | Humboldt | 2020-02-11 | 14 - 28 | No | INC | 7 | 43872.7188 | 43873 | 9.9769 | 2586.62 | 0 | -317.3661 | 0 | 0 | 0 | 0 | 0 | 0
7 | RT | Incomplete or Inaccurate Transmission | PGAE | Sierra | 2020-02-04 | 20 | No | INC | 2 | 43865.4167 | 43865.4792 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | RT | Incomplete or Inaccurate Transmission | SCE | LA Basin | 2020-02-04 | 0 | No | DEC | 2 | 43865.4931 | 43865.5382 | -23 | 0 | 0 | -1381.8886 | -84.3333 | 0 | -1381.8886 | 0 | 0 | 0
9 | RT | Incomplete or Inaccurate Transmission | SCE | LA Basin | 2020-02-04 | 250 - 400 | No | INC | 4 | 43865.5 | 43865.6562 | -42.9466 | 0 | 0 | 709.8391 | 0 | 0 | 0 | 0 | -18.6933 | 0
10 | RT | Incomplete or Inaccurate Transmission | SCE | NA | 2020-02-04 | 100 - 200 | No | DEC | 10 | 43865.4757 | 43865.875 | -115.9326 | 11611.0275 | 0 | 916.1215 | -203.7576 | 0 | -2214.9862 | 0 | -179.1866 | 0
11 | RT | Incomplete or Inaccurate Transmission | SCE | NA | 2020-02-04 | 100 - 200 | No | INC | 5 | 43865.4757 | 43865.6562 | -107.0037 | 0 | 0 | -1455.9506 | -148.3767 | 0 | 116.329 | 0 | -1013.4074 | 0
12 | RT | Incomplete or Inaccurate Transmission | SCE | NA | 2020-02-05 | 35 - 200 | No | DEC | 13 | 43866.3333 | 43866.875 | 377.3925 | 509.2135 | 0 | -916.5336 | 0 | 0 | 0 | 0 | -12599.6 | 0
13 | RT | Incomplete or Inaccurate Transmission | SCE | NA | 2020-02-05 | 35 - 125 | No | INC | 24 | 43866 | 43867 | -39.9945 | 0 | 0 | 19031.6791 | 0 | 0 | 0 | 0 | 0 | 0
14 | RT | Incomplete or Inaccurate Transmission | SCE | NA | 2020-02-06 | 35 - 200 | No | DEC | 13 | 43867.3333 | 43867.875 | 200.3121 | -6.84 | 0 | 1909.0593 | 0 | 0 | 0 | 0 | -5687.5647 | 0
15 | RT | Incomplete or Inaccurate Transmission | SCE | NA | 2020-02-06 | 35 - 100 | No | INC | 24 | 43867 | 43868 | -99.3214 | 0 | 0 | -1391.1716 | 0 | 0 | 0 | 0 | 0 | 0
16 | RT | Incomplete or Inaccurate Transmission | SCE | NA | 2020-02-07 | 35 - 200 | No | DEC | 14 | 43868.2917 | 43868.875 | -18.9323 | -3.442 | 0 | -94.7428 | 0 | 0 | 0 | 0 | -5417.0956 | 0
17 | RT | Incomplete or Inaccurate Transmission | SCE | NA | 2020-02-07 | 35 - 100 | No | INC | 20 | 43868 | 43868.8333 | -108.8553 | 0 | 0 | -238.5421 | 0 | 0 | 0 | 0 | 0 | 0
18 | RT | Incomplete or Inaccurate Transmission | SCE | NA | 2020-02-08 | 100 - 200 | No | DEC | 13 | 43869.3333 | 43869.875 | -7.3873 | 1.33 | 0 | 115.9219 | 0 | 0 | 0 | 0 | -240.2629 | 0
19 | RT | Incomplete or Inaccurate Transmission | SCE | NA | 2020-02-08 | 35 - 100 | No | INC | 24 | 43869 | 43870 | 1.0726 | 0 | 0 | 294.9109 | 0 | 0 | 0 | 0 | 0 | 0
20 | RT | Incomplete or Inaccurate Transmission | SCE | NA | 2020-02-09 | 200 | No | DEC | 4 | 43870.7083 | 43870.875 | 6.7673 | -0.002 | 0 | -110.3516 | 0 | 0 | 0 | 0 | 0 | 0
21 | RT | Load Forecast Uncertainty | PGAE | Fresno | 2020-02-02 | 83 - 404 | No | INC | 3 | 43863.8438 | 43863.9583 | 90.2392 | 12131.1 | 0 | 3608.6642 | 0 | 0 | 0 | 0 | 0 | 0
22 | RT | Load Forecast Uncertainty | SDGE | San Diego-IV | 2020-02-20 | 50 | No | INC | 3 | 43881.7118 | 43881.8333 | 10.2423 | 6476.2633 | 228.775 | -796.295 | 0 | 0 | 0 | 0 | 0 | 0
23 | RT | Market Disruption | PGAE | Fresno | 2020-02-04 | -315 | No | DEC | 2 | 43865.3715 | 43865.4167 | -77.75 | 0 | 0 | 1184.1873 | 0 | 0 | 0 | 0 | 0 | 0
24 | RT | Market Disruption | PGAE | Fresno | 2020-02-04 | -315 | No | INC | 1 | 43865.4167 | 43865.4583 | -11.7083 | 0 | 0 | 227.4798 | 0 | 0 | 0 | 0 | 0 | 0
25 | RT | Other Reliability Requirement | PGAE | Bay Area | 2020-02-04 | 288 | No | DEC | 1 | 43865.3681 | 43865.3958 | -31.9013 | -1595.44 | 0 | 553.2328 | -8.4429 | 0 | 0 | 0 | 0 | 0
26 | RT | Other Reliability Requirement | PGAE | Fresno | 2020-02-03 | 380 | No | INC | 1 | 43864.2847 | 43864.2917 | -0.25708 | 767.6167 | 285.7638 | 6.7419 | 0 | 0 | 0 | 0 | 0 | 0
27 | RT | Other Reliability Requirement | PGAE | NA | 2020-02-04 | 0 - 6 | No | DEC | 1 | 43865.3576 | 43865.375 | -7.1088 | 0 | 0 | 161.1259 | -5.5989 | 0 | 79.8544 | 0 | 0 | 0
28 | RT | Other Reliability Requirement | SCE | Big Creek-Ventura | 2020-02-03 | 344 | No | INC | 1 | 43864.2951 | 43864.3021 | 39.701 | 0 | 0 | -1331.9674 | 75.975 | -1331.9674 | 0 | -2351.4953 | 0 | 0
29 | RT | Other Reliability Requirement | SCE | Big Creek-Ventura | 2020-02-04 | 50 | No | DEC | 2 | 43865.3576 | 43865.4167 | -62.0094 | 0 | 0 | 841.9438 | -62.0094 | 0 | 841.9438 | 0 | 0 | 0
30 | RT | Other Reliability Requirement | SCE | LA Basin | 2020-02-04 | 98 - 210 | No | DEC | 1 | 43865.3681 | 43865.3958 | 42.0721 | 0 | 0 | -899.0922 | 0 | 0 | 0 | 0 | 0 | 0
31 | RT | Other Reliability Requirement | SCE | LA Basin | 2020-02-04 | 98 | No | INC | 1 | 43865.3681 | 43865.3715 | -1.5833 | 0 | 0 | 40.281 | 0 | 0 | 0 | 0 | 0 | 0
32 | RT | Other Reliability Requirement | SCE | LA Basin | 2020-02-05 | 350 - 450 | No | DEC | 8 | 43866.4236 | 43866.75 | -250.8636 | 0 | 0 | 4451.1257 | 136.2606 | -845.09 | 230.3 | -1364.6174 | 0 | 0
33 | RT | Other Reliability Requirement | SDGE | San Diego-IV | 2020-02-05 | 50 - 300 | No | INC | 9 | 43866.4271 | 43866.7812 | -62.6858 | 3882.15 | 0 | 1150.9363 | 0 | 0 | 0 | 0 | 0 | 0
34 | RT | Planned Transmission outage | PGAE | Humboldt | 2020-02-01 | 16 | No | DEC | 8 | 43862 | 43862.3333 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
35 | RT | Planned Transmission outage | PGAE | Humboldt | 2020-02-01 | 16 | No | INC | 8 | 43862 | 43862.3333 | 16.75 | 4672.5525 | 0 | -473.9675 | 0 | 0 | 0 | 0 | 0 | 0
36 | RT | Planned Transmission Outage | PGAE | Fresno | 2020-02-14 | 15 | No | INC | 9 | 43875.3333 | 43875.6771 | -5.7797 | 0 | 0 | 40.5012 | 0 | 0 | 0 | 0 | 0 | 0
37 | RT | Planned Transmission Outage | PGAE | Humboldt | 2020-02-12 | 28 - 42 | No | INC | 16 | 43873.3507 | 43874 | 18.8727 | 33858.6475 | 0 | -661.0516 | -8.0067 | 0 | 68.325 | 0 | -12.2454 | 0
38 | RT | Planned Transmission Outage | PGAE | Humboldt | 2020-02-13 | 15 | No | DEC | 2 | 43874.9271 | 43875 | 0.25 | 0 | 0 | -7.1091 | -0.3175 | 0 | 0 | 0 | -38.377 | 0
39 | RT | Planned Transmission Outage | PGAE | Humboldt | 2020-02-13 | 15 - 42 | No | INC | 24 | 43874 | 43875 | 7.5356 | 48568.005 | 0 | -192.4479 | -3.3344 | 0 | 32.8605 | 0 | -13.9852 | 0
40 | RT | Planned Transmission Outage | PGAE | Humboldt | 2020-02-14 | 15 | No | DEC | 3 | 43875 | 43875.1146 | 0.29104 | 0 | 0 | -7.8844 | 0 | 0 | 0 | 0 | -64.0509 | 0
41 | RT | Planned Transmission Outage | PGAE | Humboldt | 2020-02-14 | 15 - 30 | No | INC | 12 | 43875 | 43875.4792 | 0.38958 | 3981.185 | 0 | -11.4897 | 0 | 0 | 0 | 0 | 0 | 0
42 | RT | Planned Transmission Outage | PGAE | Humboldt | 2020-02-16 | 16 | No | INC | 7 | 43877.7257 | 43878 | 1.7644 | 3943.55 | 0 | -51.5329 | 0 | 0 | 0 | 0 | 0 | 0
43 | RT | Planned Transmission Outage | PGAE | Humboldt | 2020-02-18 | 15 - 30 | No | INC | 18 | 43879.2778 | 43880 | 4.4311 | 19566.225 | 0 | -133.8676 | 0 | 0 | 0 | 0 | 0 | 0
44 | RT | Planned Transmission Outage | PGAE | Humboldt | 2020-02-19 | 15 | No | DEC | 3 | 43880.2292 | 43880.3194 | 0 | 925.35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
45 | RT | Planned Transmission Outage | PGAE | Humboldt | 2020-02-19 | 15 - 32 | No | INC | 23 | 43880 | 43880.9583 | -0.21542 | 14651.375 | 0 | 5.0613 | 0 | 0 | 0 | 0 | 0 | 0
46 | RT | Planned Transmission Outage | PGAE | Humboldt | 2020-02-20 | 28 | No | INC | 14 | 43881.2708 | 43881.8333 | -25.5915 | 2911.8375 | 0 | 604.7002 | 0 | 0 | 0 | 0 | 0 | 0
47 | RT | Planned Transmission Outage | PGAE | Humboldt | 2020-02-24 | 14 - 32 | No | INC | 17 | 43885.2917 | 43886 | 4.2258 | 15190.17 | 0 | -183.9686 | 0 | 0 | 0 | 0 | 0 | 0
48 | RT | Planned Transmission Outage | PGAE | Sierra | 2020-02-18 | 12 - 42 | No | INC | 16 | 43879.25 | 43879.9167 | 355.5324 | 0 | 0 | -10077.9994 | 14.3823 | -400.3246 | 0 | 0 | -189.2898 | 0
49 | RT | Planned Transmission Outage | PGAE | Sierra | 2020-02-19 | 5 - 42 | No | INC | 17 | 43880.25 | 43880.9583 | 727.7244 | 0 | 0 | -17742.9059 | 11.25 | -239.9027 | 0 | 0 | 0 | 0
50 | RT | Planned Transmission Outage | PGAE | Sierra | 2020-02-21 | 42 | No | INC | 5 | 43882.25 | 43882.4583 | 181.7279 | 0 | 0 | -5083.3476 | 0 | 0 | 0 | 0 | 0 | 0
51 | RT | Planned Transmission Outage | SCE | LA Basin | 2020-02-01 | 20 - 190 | No | INC | 16 | 43862.3333 | 43863 | 293.6604 | 40877.6 | 0 | -21475.9563 | 85.109 | -573.7343 | 0 | 0 | -1473.5181 | 0
52 | RT | Planned Transmission Outage | SCE | LA Basin | 2020-02-02 | 98 | No | INC | 13 | 43863.2917 | 43863.8333 | -337.7069 | 54021.11 | 16620.67 | 3391.4059 | 0 | 0 | 0 | 0 | 0 | 0
53 | RT | Planned Transmission Outage | SCE | LA Basin | 2020-02-03 | 10 - 98 | No | INC | 18 | 43864.25 | 43865 | 32.6445 | 107514.7275 | 0 | -2979.3052 | 223.7125 | -4511.828 | 0 | 0 | 0 | 0
54 | RT | Planned Transmission Outage | SCE | LA Basin | 2020-02-06 | 169 | No | DEC | 1 | 43867.875 | 43867.9062 | -1.3539 | -1846.0866 | 0 | 49.9173 | -2.1383 | 0 | 36.9382 | 0 | -2.7387 | 0
55 | RT | Planned Transmission Outage | SCE | LA Basin | 2020-02-06 | 0 | No | INC | 2 | 43867.875 | 43867.9479 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
56 | RT | Planned Transmission Outage | SCE | LA Basin | 2020-02-07 | 160 | No | DEC | 18 | 43868.2708 | 43869 | -54.2021 | -14978.9303 | 15544.5637 | 1831.5351 | -98.1125 | 0 | 1690.1368 | 0 | -1444.6265 | 0
57 | RT | Planned Transmission Outage | SCE | LA Basin | 2020-02-07 | 160 | No | INC | 9 | 43868.3333 | 43868.7083 | 0.21009 | 1431.37 | 6908.695 | 134.3437 | 0 | 0 | 0 | 0 | 0 | 0
58 | RT | Planned Transmission Outage | SCE | LA Basin | 2020-02-08 | 160 | No | DEC | 8 | 43869 | 43869.3333 | 6.6803 | -22204.4837 | 20700.42 | -118.9227 | 0 | 0 | 0 | 0 | -1262.6927 | 0
59 | RT | Planned Transmission Outage | SCE | LA Basin | 2020-02-08 | 98 - 160 | No | INC | 14 | 43869.2917 | 43869.875 | -44.0879 | 85157.645 | 22301.9916 | 1694.4379 | 0 | 0 | 0 | 0 | 0 | 0
60 | RT | Planned Transmission Outage | SCE | LA Basin | 2020-02-09 | 98 | No | INC | 14 | 43870.2917 | 43870.875 | -307.9425 | 53476.5 | 18646.2631 | 6246.4253 | 0 | 0 | 0 | 0 | 0 | 0
61 | RT | Planned Transmission Outage | SCE | LA Basin | 2020-02-10 | 98 | No | INC | 14 | 43871.2917 | 43871.875 | -42.1595 | 54327.51 | 18927.412 | 641.2536 | 0 | 0 | 0 | 0 | 0 | 0
62 | RT | Planned Transmission Outage | SCE | LA Basin | 2020-02-12 | 255 | No | INC | 1 | 43873.5625 | 43873.5833 | 20.0587 | 0 | 0 | -500.6991 | 0 | 0 | 0 | 0 | 0 | 0
63 | RT | Planned Transmission Outage | SCE | LA Basin | 2020-02-14 | 98 - 351 | No | INC | 14 | 43875.4479 | 43876 | 276.3706 | 52231.61 | 0 | -5907.6158 | 392.4747 | -2420.3737 | 0 | 0 | -4982.5452 | 0
64 | RT | Planned Transmission Outage | SCE | LA Basin | 2020-02-15 | 98 | No | INC | 24 | 43876 | 43877 | -678.8198 | 134499.2125 | 15193.568 | 13738.5565 | 0 | 0 | 0 | 0 | 0 | 0
65 | RT | Planned Transmission Outage | SCE | LA Basin | 2020-02-16 | 98 | No | INC | 24 | 43877 | 43878 | -219.1942 | 80971.96 | 0 | 2640.5533 | 0 | 0 | 0 | 0 | 0 | 0
66 | RT | Planned Transmission Outage | SCE | LA Basin | 2020-02-26 | 0 - 147 | No | INC | 4 | 43887.7708 | 43887.9167 | -50.8438 | 17540.6075 | 0 | 1625.8397 | -4.7865 | 0 | 82.0143 | 0 | -0.61011 | 0
67 | RT | Planned Transmission Outage | SCE | NA | 2020-02-07 | 35 - 100 | No | INC | 4 | 43868.8333 | 43869 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
68 | RT | Planned Transmission Outage | SCE | NA | 2020-02-08 | 35 | No | DEC | 2 | 43869.2917 | 43869.375 | -8.1731 | 0 | 0 | 29.6728 | 0 | 0 | 0 | 0 | -486.9649 | 0
69 | RT | Planned Transmission Outage | SCE | NA | 2020-02-08 | 35 - 100 | No | INC | 24 | 43869 | 43870 | -19.2513 | 0 | 0 | 377.3729 | 0 | 0 | 0 | 0 | 0 | 0
70 | RT | Planned Transmission Outage | SCE | NA | 2020-02-09 | 35 - 100 | No | DEC | 8 | 43870.3333 | 43870.6667 | -6.5586 | 0 | 0 | 21.9027 | 0 | 0 | 0 | 0 | -1350.0654 | 0
71 | RT | Planned Transmission Outage | SCE | NA | 2020-02-09 | 35 - 100 | No | INC | 24 | 43870 | 43871 | -127.4047 | 0 | 0 | 1205.902 | 49.0365 | -1021.5986 | 0 | 0 | 0 | 0
72 | RT | Planned Transmission Outage | SCE | NA | 2020-02-10 | 35 - 200 | No | DEC | 12 | 43871.375 | 43871.875 | -165.7265 | -0.0005 | 0 | 13121.069 | 0 | 0 | 0 | 0 | -525.2991 | 0
73 | RT | Planned Transmission Outage | SCE | NA | 2020-02-10 | 35 - 100 | No | INC | 24 | 43871 | 43872 | -306.2807 | 0 | 0 | 3925.94 | 14.0365 | -265.9107 | 0 | 0 | 0 | 0
74 | RT | Planned Transmission Outage | SCE | NA | 2020-02-11 | 35 - 200 | No | DEC | 16 | 43872.3333 | 43873 | -129.8338 | 0.003 | 0 | 7256.1679 | 0 | 0 | 0 | 0 | -6932.6734 | 0
75 | RT | Planned Transmission Outage | SCE | NA | 2020-02-11 | 35 - 100 | No | INC | 24 | 43872 | 43873 | 33.111 | 0 | 0 | -418.3339 | 0 | 0 | 0 | 0 | 0 | 0
76 | RT | Planned Transmission Outage | SCE | NA | 2020-02-12 | 35 - 200 | No | DEC | 17 | 43873.2917 | 43874 | -148.8536 | -2.282 | 0 | 3145.1529 | 0 | 0 | 0 | 0 | -6483.0867 | 0
77 | RT | Planned Transmission Outage | SCE | NA | 2020-02-12 | 35 - 100 | No | INC | 24 | 43873 | 43874 | -26.6469 | 0 | 0 | -383.5968 | 0 | 0 | 0 | 0 | 0 | 0
78 | RT | Planned Transmission Outage | SCE | NA | 2020-02-13 | 35 - 200 | No | DEC | 17 | 43874.2917 | 43875 | -17.3236 | -0.02 | 0 | 868.7758 | 0 | 0 | 0 | 0 | -16583.4468 | 0
79 | RT | Planned Transmission Outage | SCE | NA | 2020-02-13 | 35 - 100 | No | INC | 24 | 43874 | 43875 | -48.9176 | 0 | 0 | 1291.8456 | 0 | 0 | 0 | 0 | 0 | 0
80 | RT | Planned Transmission Outage | SCE | NA | 2020-02-14 | 35 - 100 | No | DEC | 10 | 43875.2917 | 43875.7083 | 9.3703 | 0 | 0 | -62.109 | 0 | 0 | 0 | 0 | -3849.7364 | 0
81 | RT | Planned Transmission Outage | SCE | NA | 2020-02-14 | 35 - 100 | No | INC | 24 | 43875 | 43876 | 124.7265 | 0 | 0 | -1620.5553 | 0 | 0 | 0 | 0 | 0 | 0
82 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2020-02-06 | 40 | No | INC | 3 | 43867.7153 | 43867.8333 | 9.8108 | 0 | 0 | -250.877 | 0 | 0 | 0 | 0 | 0 | 0
83 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2020-02-07 | 40 | No | INC | 15 | 43868.3229 | 43868.9167 | 27.5442 | 2354.43 | 0 | -838.4441 | 0 | 0 | 0 | 0 | 0 | 0
84 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2020-02-09 | 40 | No | INC | 3 | 43870.7917 | 43870.8854 | 8.9167 | 5759.7275 | 127.1859 | -218.576 | 0 | 0 | 0 | 0 | 0 | 0
85 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2020-02-10 | 40 | No | INC | 5 | 43871.7917 | 43872 | -2 | 2304.4 | 0 | 61.9358 | 0 | 0 | 0 | 0 | 0 | 0
86 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2020-02-11 | 40 | No | INC | 16 | 43872.3333 | 43873 | -1.6667 | 19370.97 | 0 | 89.3315 | 0 | 0 | 0 | 0 | 0 | 0
87 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2020-02-12 | 40 | No | INC | 15 | 43873.3333 | 43873.9583 | 16 | 2117.31 | 0 | -394.9033 | 0 | 0 | 0 | 0 | 0 | 0
88 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2020-02-16 | 50 | No | INC | 1 | 43877.9201 | 43877.9583 | 144.3062 | 0 | 0 | -31969.4904 | 0 | 0 | 0 | 0 | 0 | 0
89 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2020-02-25 | 46 | No | DEC | 1 | 43886.1667 | 43886.1979 | -0.68233 | 0 | 0 | 24.0769 | 0 | 0 | 0 | 0 | 0 | 0
90 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2020-02-25 | 46 - 51 | No | INC | 5 | 43886.0035 | 43886.1979 | 57.7707 | 21590.485 | 0 | -1664.173 | 22.1692 | -248.4002 | 0 | 0 | -1811.1918 | 0
91 | RT | Reliability Assessment | PGAE | Fresno | 2020-02-24 | -316 | No | DEC | 2 | 43885.1319 | 43885.2083 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
92 | RT | Reliability Assessment | PGAE | Humboldt | 2020-02-02 | 15 | No | INC | 3 | 43863.7083 | 43863.8333 | -0.38563 | 1808.73 | 897.52 | 12.2907 | 0 | 0 | 0 | 0 | 0 | 0
93 | RT | Reliability Assessment | PGAE | Humboldt | 2020-02-03 | 30 - 42 | No | INC | 16 | 43864.2917 | 43864.9583 | 6.6157 | 17333.6625 | 0 | -199.6848 | 0 | 0 | 0 | 0 | 0 | 0
94 | RT | Reliability Assessment | PGAE | Humboldt | 2020-02-04 | 15 | No | INC | 2 | 43865.2639 | 43865.3264 | 3.698 | 820.44 | 0 | -189.3143 | 0 | 0 | 0 | 0 | 0 | 0
95 | RT | Reliability Assessment | PGAE | Humboldt | 2020-02-05 | 32 - 48 | No | INC | 17 | 43866.2951 | 43867 | 3.5696 | 15036.2125 | 0 | -1809.4795 | -4.064 | -2.1197 | 17.8143 | 0 | 0 | 0
96 | RT | Reliability Assessment | PGAE | Humboldt | 2020-02-06 | 15 | No | INC | 6 | 43867.2674 | 43867.5 | 2.2098 | 3378.54 | 0 | -68.5889 | 0 | 0 | 0 | 0 | 0 | 0
97 | RT | Reliability Assessment | PGAE | Humboldt | 2020-02-09 | 32 | No | INC | 6 | 43870.7535 | 43871 | 6.1488 | 3193.2075 | 0 | -216.1437 | -3.7284 | 0 | 20.9722 | 0 | 0 | 0
98 | RT | Reliability Assessment | PGAE | Humboldt | 2020-02-10 | 16 | No | DEC | 6 | 43871 | 43871.2431 | 0.50341 | 0 | 0 | -10.9707 | -0.061875 | 0 | 0 | 0 | 0 | 0
99 | RT | Reliability Assessment | PGAE | Humboldt | 2020-02-10 | 16 - 32 | No | INC | 19 | 43871.2431 | 43872 | 5.1672 | 20831.8775 | 0 | -786.6634 | 0 | 0 | 0 | 0 | 0 | 0
100 | RT | Reliability Assessment | PGAE | Humboldt | 2020-02-11 | 14 - 42 | No | INC | 24 | 43872 | 43873 | 8.1648 | 20591.4867 | 0 | -288.9757 | 0 | 0 | 0 | 0 | 0 | 0
101 | RT | Reliability Assessment | PGAE | Humboldt | 2020-02-12 | 14 - 28 | No | INC | 10 | 43873 | 43873.4167 | 1.8015 | 5010.4725 | 0 | -33.8972 | 0 | 0 | 0 | 0 | 0 | 0
102 | RT | Reliability Assessment | PGAE | Humboldt | 2020-02-15 | 32 | No | INC | 6 | 43876.7083 | 43876.9583 | 4.8092 | 3033.555 | 0 | -147.0747 | 0 | 0 | 0 | 0 | 0 | 0
103 | RT | Reliability Assessment | PGAE | Humboldt | 2020-02-17 | 14 | No | INC | 17 | 43878.2847 | 43878.9583 | 2.5586 | 6522.025 | 0 | -132.9057 | 0 | 0 | 0 | 0 | 0 | 0
104 | RT | Reliability Assessment | PGAE | Humboldt | 2020-02-22 | 15 | No | INC | 5 | 43883.7778 | 43883.9583 | 2.4215 | 2582.3425 | 0 | -63.9026 | 0 | 0 | 0 | 0 | 0 | 0
105 | RT | Reliability Assessment | PGAE | Humboldt | 2020-02-23 | 15 | No | INC | 5 | 43884.7778 | 43884.9583 | 8.7083 | 2430.44 | 897.66 | -302.6252 | 0 | 0 | 0 | 0 | 0 | 0
106 | RT | Reliability Assessment | PGAE | Humboldt | 2020-02-24 | 14 | No | INC | 1 | 43885.2778 | 43885.316 | 4.4129 | 506.3417 | 0 | -149.972 | 0 | 0 | 0 | 0 | 0 | 0
107 | RT | Reliability Assessment | PGAE | Humboldt | 2020-02-25 | 15 - 32 | No | INC | 18 | 43886.2292 | 43886.9688 | 4.2351 | 15579.78 | 0 | -122.5563 | -0.69458 | 0 | 3.4844 | 0 | 0 | 0
108 | RT | Reliability Assessment | PGAE | Humboldt | 2020-02-26 | 14 | No | DEC | 5 | 43887.3021 | 43887.4792 | 1.1314 | 0 | 0 | -121.5078 | 0 | 0 | 0 | 0 | 0 | 0
109 | RT | Reliability Assessment | PGAE | Humboldt | 2020-02-26 | 15 - 28 | No | INC | 18 | 43887.25 | 43888 | -6.5368 | 20041.5575 | 0 | 91.568 | 0 | 0 | 0 | 0 | 0 | 0
110 | RT | Reliability Assessment | PGAE | Humboldt | 2020-02-27 | 14 - 30 | No | INC | 23 | 43888 | 43888.9583 | 5.0974 | 7924.41 | 0 | -181.4721 | 0 | 0 | 0 | 0 | 0 | 0
111 | RT | Reliability Assessment | PGAE | Humboldt | 2020-02-28 | 15 - 30 | No | INC | 18 | 43889.25 | 43889.9896 | 4.0559 | 12674.305 | 0 | -123.1398 | 0 | 0 | 0 | 0 | 0 | 0
112 | RT | Reliability Assessment | PGAE | Humboldt | 2020-02-29 | 14 - 15 | No | DEC | 23 | 43890.0417 | 43891 | -2.9743 | 603.54 | 0 | 41.609 | 0 | 0 | 0 | 0 | 0 | 0
113 | RT | Reliability Assessment | PGAE | Humboldt | 2020-02-29 | 14 - 32 | No | INC | 14 | 43890.3646 | 43890.9479 | 12.8516 | 2866.8075 | 0 | -234.2399 | 0.62138 | -4.8154 | 0 | 0 | 0 | 0
114 | RT | Reliability Assessment | PGAE | Sierra | 2020-02-18 | 10 - 35 | No | INC | 7 | 43879.4097 | 43879.6667 | 110.3597 | 0 | 0 | -1990.7884 | 119.0253 | -2024.838 | 0 | 0 | 0 | 0
115 | RT | Reliability Assessment | SCE | LA Basin | 2020-02-03 | 250 - 255 | No | INC | 6 | 43864.4757 | 43864.6875 | 166.8912 | 36431.8433 | 0 | -5945.4635 | 223.7125 | -4511.828 | 0 | 0 | 0 | 0
116 | RT | Reliability Assessment | SCE | LA Basin | 2020-02-05 | 550 | No | DEC | 4 | 43866.2882 | 43866.4375 | -60.9234 | 0 | 0 | 1617.456 | -20.7344 | 0 | 230.3 | 0 | 0 | 0
117 | RT | Reliability Assessment | SCE | LA Basin | 2020-02-05 | 550 | No | INC | 1 | 43866.3333 | 43866.375 | -6.9389e-17 | 0 | 0 | -1.3078 | 0 | 0 | 0 | 0 | 0 | 0
118 | RT | Reliability Assessment | SCE | NA | 2020-02-05 | 65 | No | DEC | 5 | 43866.4167 | 43866.625 | -2.1347 | 0 | 0 | -321.6123 | 0 | 0 | 0 | 0 | 0 | 0
119 | RT | Reliability Assessment | SCE | NA | 2020-02-05 | 65 | No | INC | 8 | 43866.3819 | 43866.7083 | 4.5329 | 0 | 0 | 405.7056 | 0 | 0 | 0 | 0 | 0 | 0
120 | RT | Reliability Assessment | SCE | NA | 2020-02-14 | 55 | No | DEC | 4 | 43875.4861 | 43875.625 | -19.1466 | 0 | 0 | -237.8557 | -36.3724 | 0 | -244.4923 | 0 | 0 | 0
121 | RT | Reliability Assessment | SCE | NA | 2020-02-14 | 55 | No | INC | 3 | 43875.625 | 43875.75 | 0.19945 | 0 | 0 | -10.351 | 0 | 0 | 0 | 0 | 0 | 0
122 | RT | Reliability Assessment | SCE | NA | 2020-02-15 | 60 | No | DEC | 6 | 43876.3785 | 43876.625 | -6.7125 | 0 | 0 | -707.8732 | -11.6 | 0 | -324.6452 | 0 | 0 | 0
123 | RT | Reliability Assessment | SCE | NA | 2020-02-15 | 60 | No | INC | 2 | 43876.625 | 43876.7083 | 11.8125 | 0 | 0 | -53.7072 | 0 | 0 | 0 | 0 | 0 | 0
124 | RT | Reliability Assessment | SCE | NA | 2020-02-16 | 60 | No | DEC | 6 | 43877.375 | 43877.625 | -2.1182 | 0 | 0 | -0.27695 | -2.225 | 0 | -0.010728 | 0 | 0 | 0
125 | RT | Reliability Assessment | SCE | NA | 2020-02-16 | 60 | No | INC | 8 | 43877.3576 | 43877.6875 | -10.8819 | 0 | 0 | 12.6215 | 0 | 0 | 0 | 0 | 0 | 0
126 | RT | Reliability Assessment | SCE | NA | 2020-02-17 | 60 | No | DEC | 6 | 43878.3854 | 43878.625 | -8.7441 | 0 | 0 | -1267.8681 | -0.215 | 0 | 0.080625 | 0 | 0 | 0
127 | RT | Reliability Assessment | SCE | NA | 2020-02-17 | 60 | No | INC | 1 | 43878.625 | 43878.6667 | 2.1001 | 0 | 0 | -341.6008 | 0 | 0 | 0 | 0 | 0 | 0
128 | RT | Reliability Assessment | SCE | NA | 2020-02-28 | 40 | No | DEC | 5 | 43889.4444 | 43889.625 | -9.6517 | 0 | 0 | 63.5057 | -7.8972 | 0 | 2.9748 | 0 | 0 | 0
129 | RT | Reliability Assessment | SCE | NA | 2020-02-28 | 40 | No | INC | 3 | 43889.625 | 43889.75 | -1.4704 | 0 | 0 | 16.9155 | 0 | 0 | 0 | 0 | 0 | 0
130 | RT | Reliability Assessment | SCE | NA | 2020-02-29 | 60 | No | DEC | 5 | 43890.4167 | 43890.625 | 9.0806 | 0 | 0 | 645.1204 | 0 | 0 | 0 | 0 | 0 | 0
131 | RT | Reliability Assessment | SCE | NA | 2020-02-29 | 60 | No | INC | 9 | 43890.3542 | 43890.7083 | -1.8614 | 0 | 0 | -234.9348 | 0 | 0 | 0 | 0 | 0 | 0
132 | RT | Reliability Assessment | SDGE | San Diego-IV | 2020-02-03 | 40 | No | INC | 4 | 43864.3299 | 43864.4688 | 16.3333 | 4468.065 | 0 | -1434.3453 | 0 | 0 | 0 | 0 | 0 | 0
133 | RT | Reliability Assessment | SDGE | San Diego-IV | 2020-02-05 | 40 | No | DEC | 1 | 43866.2639 | 43866.2917 | 1.8333 | 0 | 0 | -110.8308 | 0 | 0 | 0 | 0 | 0 | 0
134 | RT | Reliability Assessment | SDGE | San Diego-IV | 2020-02-05 | 40 | No | INC | 16 | 43866.2917 | 43866.9583 | 13.8783 | 14552.76 | 0 | -1220.5495 | 0 | 0 | 0 | 0 | 0 | 0
135 | RT | Reliability Assessment | SDGE | San Diego-IV | 2020-02-14 | 40 | No | INC | 1 | 43875.7188 | 43875.7292 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
136 | RT | Reliability Assessment | SDGE | San Diego-IV | 2020-02-18 | 40 | No | DEC | 2 | 43879.7118 | 43879.7917 | 10.0189 | 0 | 0 | -325.8787 | 0 | 0 | 0 | 0 | 0 | 0
137 | RT | Reliability Assessment | SDGE | San Diego-IV | 2020-02-18 | 40 | No | INC | 3 | 43879.7917 | 43879.9167 | -1.3333 | 0 | 0 | 46.2766 | 0 | 0 | 0 | 0 | 0 | 0
138 | RT | Reliability Assessment | SDGE | San Diego-IV | 2020-02-19 | 24 | No | INC | 4 | 43880.6771 | 43880.8333 | -199.5317 | 12807.67 | 0 | 7396.1963 | 0 | 0 | 0 | 0 | 0 | 0
139 | RT | Reliability Assessment | SDGE | San Diego-IV | 2020-02-21 | 24 | No | INC | 6 | 43882.4688 | 43882.7083 | 123.5317 | 12903.5775 | 1252.5975 | -10965.2734 | 0 | 0 | 0 | 0 | 0 | 0
140 | RT | Reliability Assessment | SDGE | San Diego-IV | 2020-02-27 | 24 | No | INC | 4 | 43888.6111 | 43888.75 | -43.21 | 6616.1 | 666.1275 | -6165.4795 | 0 | 0 | 0 | 0 | 0 | 0
141 | RT | Reliability Assessment | SDGE | San Diego-IV | 2020-02-28 | 24 | No | DEC | 7 | 43889.5799 | 43889.8333 | -176.2571 | -63493.5849 | 0 | 3383.1631 | 0 | 0 | 0 | 0 | 0 | 0
142 | RT | Reliability Assessment | SDGE | San Diego-IV | 2020-02-28 | 40 | No | INC | 14 | 43889.4028 | 43889.9583 | -2.2917 | 10643.0933 | 0 | 66.1824 | 0 | 0 | 0 | 0 | 0 | 0
143 | RT | Reliability Assessment | VEA | NA | 2020-02-14 | 8 | No | DEC | 1 | 43875.4896 | 43875.5104 | 4.6722 | 0 | 0 | -63.9689 | 0 | 0 | 0 | 0 | 0 | 0
144 | RT | Software Limitation | PGAE | Fresno | 2020-02-20 | 83 | No | INC | 1 | 43881.25 | 43881.2917 | 21.9687 | 3207.54 | 1800.312 | -574.6394 | 0 | 0 | 0 | 0 | 0 | 0
145 | RT | Software Limitation | SCE | Big Creek-Ventura | 2020-02-18 | 15 | No | DEC | 3 | 43879.75 | 43879.875 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
146 | RT | Software Limitation | SCE | Big Creek-Ventura | 2020-02-18 | 15 | No | INC | 1 | 43879.875 | 43879.9062 | -2.8333 | 0 | 0 | 88.0804 | 0 | 0 | 0 | 0 | 0 | 0
147 | RT | Software Limitation | SCE | LA Basin | 2020-02-17 | 0 | No | INC | 1 | 43878.2882 | 43878.3299 | -11.2225 | 0 | 0 | 0 | -37.4083 | 0 | 0 | 0 | 0 | 0
148 | RT | Software Limitation | SCE | LA Basin | 2020-02-27 | 0 | No | INC | 4 | 43888.8611 | 43889 | -21 | 792.35 | 0 | 0 | -42 | 0 | 0 | 0 | 0 | 0
149 | RT | Software Limitation | SCE | LA Basin | 2020-02-28 | 0 | No | INC | 1 | 43889 | 43889.0278 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
150 | RT | Software Limitation | SCE | NA | 2020-02-13 | 0 | No | INC | 8 | 43874.3333 | 43874.6667 | -183.7344 | 6072.5325 | 0 | 4611.6092 | 0 | 0 | 0 | 0 | 0 | 0
151 | RT | Unit Testing | Intertie | NA | 2020-02-21 | 10 - 50 | No | INC | 2 | 43882.375 | 43882.4583 | 44.3958 | 0 | 0 | -843.8758 | 85.4583 | -814.5702 | 0 | 0 | 0 | 0
152 | RT | Unit Testing | PGAE | Bay Area | 2020-02-05 | 50 | No | INC | 12 | 43866.2986 | 43866.7917 | 28.1279 | 600.965 | 0 | -9008.6164 | 0.087915 | -16.0109 | 0 | 0 | 0 | 0
153 | RT | Unit Testing | PGAE | Bay Area | 2020-02-06 | 25 | No | INC | 7 | 43867.3611 | 43867.625 | 13.8417 | 296.8575 | 0 | -201.4457 | 1.575 | -32.7994 | 0 | 0 | 0 | 0
154 | RT | Unit Testing | PGAE | Bay Area | 2020-02-10 | 25 | No | INC | 7 | 43871.3056 | 43871.5625 | 17.8842 | 293.6175 | 0 | -373.1855 | 1.8083 | -37.2878 | 0 | 0 | 0 | 0
155 | RT | Unit Testing | PGAE | Bay Area | 2020-02-11 | 0 - 45 | No | INC | 13 | 43872.2917 | 43872.8194 | 497.9463 | 0 | 0 | -24410.6351 | 239.4324 | -9692.9005 | 0 | 0 | 0 | 0
156 | RT | Unit Testing | PGAE | Bay Area | 2020-02-12 | 0 - 45 | No | INC | 15 | 43873.3056 | 43873.8958 | -27.3356 | 5579.2175 | 0 | 880.7892 | 0.069167 | -648.872 | 0 | 0 | 0 | 0
157 | RT | Unit Testing | PGAE | Bay Area | 2020-02-13 | 25 - 45 | No | INC | 7 | 43874.3021 | 43874.5625 | 27.0219 | 0 | 0 | -878.8398 | 17.8333 | -229.126 | 0 | 0 | 0 | 0
158 | RT | Unit Testing | PGAE | Bay Area | 2020-02-19 | 195 | No | INC | 4 | 43880.5 | 43880.6667 | 46.8541 | 0 | 20413.1671 | -1108.4419 | 33.8901 | -550.7908 | 0 | 0 | 0 | 0
159 | RT | Unit Testing | PGAE | Bay Area | 2020-02-25 | 500 | No | DEC | 2 | 43886.25 | 43886.3333 | 1.7765 | -18830 | 0 | -53.8664 | 3.3005 | -39.3673 | 0 | 0 | 0 | 0
160 | RT | Unit Testing | PGAE | Sierra | 2020-02-15 | 3 | No | INC | 1 | 43876.0868 | 43876.1181 | 2.0142 | 0 | 0 | -126.7884 | 3.1346 | -126.708 | 0 | 0 | 0 | 0
161 | RT | Unit Testing | PGAE | NA | 2020-02-26 | 100 | No | INC | 8 | 43887.3333 | 43887.6458 | 144.1694 | 3013.305 | 0 | -3798.8566 | 163.8977 | -3783.7071 | 0 | 0 | 0 | 0
162 | RT | Unit Testing | SCE | Big Creek-Ventura | 2020-02-01 | 80 | No | INC | 12 | 43862.4896 | 43862.9583 | 858.6087 | 0 | 0 | -22828.4026 | 317.6066 | -6774.8138 | 0 | 0 | 0 | 0
163 | RT | Unit Testing | SCE | Big Creek-Ventura | 2020-02-25 | 78 | No | DEC | 13 | 43886.4271 | 43886.9375 | 19.1173 | 0 | 0 | -139.502 | 0 | 0 | 0 | 0 | 0 | 0
164 | RT | Unit Testing | SCE | LA Basin | 2020-02-06 | 240 | No | DEC | 5 | 43867.6875 | 43867.875 | 36.071 | 0 | 0 | -1015.0214 | 39.0001 | -747.1978 | 0 | 0 | -55.7697 | 0
165 | RT | Unit Testing | SCE | LA Basin | 2020-02-06 | 147 | No | INC | 6 | 43867.625 | 43867.875 | 0 | 42211.44 | 13809.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0
166 | RT | Unit Testing | SCE | NA | 2020-02-18 | 125 - 210 | No | INC | 9 | 43879.5729 | 43879.9167 | -48.1612 | 0 | 0 | -9658.8153 | -87.5025 | 0 | -5568.4794 | 0 | 0 | 0
167 | RT | Voltage Support | PGAE | Fresno | 2020-02-01 | -315 | No | DEC | 8 | 43862.0694 | 43862.375 | -68.25 | 0 | 0 | 2245.0275 | 0 | 0 | 0 | 0 | 0 | 0
168 | RT | Voltage Support | PGAE | Fresno | 2020-02-02 | -315 - 83 | No | DEC | 23 | 43863.0521 | 43864 | -86.0727 | 0 | 0 | 3144.4969 | 0 | 0 | 0 | 0 | 0 | 0
169 | RT | Voltage Support | PGAE | Fresno | 2020-02-02 | 83 | No | INC | 1 | 43863.6875 | 43863.7083 | -46.875 | 2343.975 | 0 | 1486.1422 | 0 | 0 | 0 | 0 | 0 | 0
170 | RT | Voltage Support | PGAE | Fresno | 2020-02-03 | -315 | No | DEC | 6 | 43864 | 43864.2292 | 0.052083 | 0 | 0 | -1.4104 | 0 | 0 | 0 | 0 | 0 | 0
171 | RT | Voltage Support | PGAE | Fresno | 2020-02-11 | -318 | No | DEC | 2 | 43872.1701 | 43872.2292 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
172 | RT | Voltage Support | PGAE | Fresno | 2020-02-19 | -317 | No | DEC | 4 | 43880.0625 | 43880.2292 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
173 | RT | Voltage Support | PGAE | Sierra | 2020-02-15 | 1 - 20 | No | INC | 8 | 43876.5104 | 43876.8333 | -11.9775 | 10072.65 | 20 | 525.0228 | 0.33333 | -2.5861 | 0 | 0 | -3.6482 | 0
174 | RT | Voltage Support | PGAE | Sierra | 2020-02-17 | 42 | No | INC | 16 | 43878.25 | 43878.9167 | 350.3188 | 0 | 0 | -9077.3728 | 0 | 0 | 0 | 0 | 0 | 0
175 | RT | Voltage Support | PGAE | Sierra | 2020-02-27 | 20 | No | INC | 7 | 43888.441 | 43888.7292 | 22.25 | 9393.8 | 304.95 | -7920.7016 | 0 | 0 | 0 | 0 | 0 | 0
176 | RT | Voltage Support | PGAE | Sierra | 2020-02-28 | 20 | Yes | INC | 6 | 43889.4722 | 43889.7083 | 28.3333 | 6404.985 | 302.15 | -418.5799 | 0 | 0 | 0 | 0 | 0 | 0
177 | RT | Voltage Support | PGAE | Sierra | 2020-02-29 | 20 | Yes | INC | 5 | 43890.0417 | 43890.25 | 4.675 | 5593.3 | 282.96 | -60.7554 | 0 | 0 | 0 | 0 | 0 | 0

## Price_Impact_A
Table 8: Price Impact Analysis Information for Pricing Node A in PGAE LAP
Number | Trade Date | Trade Hour | Interval | Market LMP | Eligible Flag | Calculated LMP | Change in LMP
1 | 2020-02-10 | 8 | 5 | 28.3521 | Yes | 38.74 | 10.3879
2 | 2020-02-10 | 8 | 6 | 25.0439 | Yes | 38.74 | 13.6961
3 | 2020-02-10 | 8 | 7 | 22.4615 | Yes | 38.74 | 16.2785
4 | 2020-02-10 | 8 | 8 | 19.528 | Yes | 38.74 | 19.212
5 | 2020-02-10 | 8 | 9 | 18.5367 | Yes | 38.74 | 20.2033
6 | 2020-02-10 | 8 | 10 | 15.9639 | Yes | 38.74 | 22.7761
7 | 2020-02-10 | 8 | 11 | 16.2303 | Yes | 38.74 | 22.5097
8 | 2020-02-10 | 8 | 12 | 16.0263 | Yes | 38.74 | 22.7137
9 | 2020-02-10 | 9 | 1 | 18.8966 | Yes | 38.74 | 19.8434
10 | 2020-02-10 | 9 | 2 | 26.1252 | Yes | 38.74 | 12.6149
11 | 2020-02-10 | 9 | 3 | 27.5658 | Yes | 38.74 | 11.1742
12 | 2020-02-10 | 9 | 4 | 24.7512 | Yes | 38.74 | 13.9888
13 | 2020-02-10 | 9 | 5 | 23.6112 | Yes | 38.74 | 15.1288
14 | 2020-02-10 | 9 | 6 | 16.7312 | Yes | 38.74 | 22.0088
15 | 2020-02-10 | 9 | 7 | 15.4732 | Yes | 38.74 | 23.2668
16 | 2020-02-10 | 9 | 8 | 15.6315 | Yes | 38.74 | 23.1085
17 | 2020-02-10 | 9 | 9 | 15.4479 | Yes | 38.74 | 23.2921
18 | 2020-02-10 | 9 | 10 | 13.9329 | Yes | 38.74 | 24.8071
19 | 2020-02-10 | 9 | 11 | 13.5387 | Yes | 38.74 | 25.2013
20 | 2020-02-10 | 9 | 12 | 13.6064 | Yes | 38.74 | 25.1336
21 | 2020-02-10 | 10 | 1 | 3.1554 | Yes | 38.74 | 35.5846
22 | 2020-02-10 | 10 | 2 | 12.7913 | Yes | 38.74 | 25.9487
23 | 2020-02-10 | 10 | 3 | 12.9032 | Yes | 38.74 | 25.8368
24 | 2020-02-10 | 10 | 4 | 17.2798 | Yes | 38.74 | 21.4602
25 | 2020-02-10 | 10 | 5 | 16.3085 | Yes | 38.74 | 22.4315
26 | 2020-02-10 | 10 | 6 | 16.6187 | Yes | 38.74 | 22.1213
27 | 2020-02-10 | 10 | 7 | 16.695 | Yes | 38.74 | 22.045
28 | 2020-02-10 | 10 | 8 | 16.6964 | Yes | 38.74 | 22.0436
29 | 2020-02-10 | 10 | 9 | 18.2957 | Yes | 38.74 | 20.4443
30 | 2020-02-10 | 10 | 10 | 14.6497 | Yes | 38.74 | 24.0903
31 | 2020-02-10 | 10 | 11 | 12.4553 | Yes | 38.74 | 26.2847
32 | 2020-02-10 | 10 | 12 | 14.6273 | Yes | 38.74 | 24.1127
33 | 2020-02-10 | 11 | 1 | 5.9375 | Yes | 38.74 | 32.8025
34 | 2020-02-10 | 11 | 2 | 9.6929 | Yes | 38.74 | 29.0471
35 | 2020-02-10 | 11 | 3 | 11.836 | Yes | 38.74 | 26.904
36 | 2020-02-10 | 11 | 4 | 12.4166 | Yes | 38.74 | 26.3234
37 | 2020-02-10 | 11 | 5 | 14.8094 | Yes | 38.74 | 23.9306
38 | 2020-02-10 | 11 | 6 | 14.5417 | Yes | 38.74 | 24.1983
39 | 2020-02-10 | 11 | 7 | 12.4499 | Yes | 38.74 | 26.2901
40 | 2020-02-10 | 11 | 8 | 12.379 | Yes | 38.74 | 26.361
41 | 2020-02-10 | 11 | 9 | 10.8422 | Yes | 38.74 | 27.8978
42 | 2020-02-10 | 11 | 10 | 12.7453 | Yes | 38.74 | 25.9947
43 | 2020-02-10 | 11 | 11 | 11.458 | Yes | 38.74 | 27.282
44 | 2020-02-10 | 11 | 12 | 10.142 | Yes | 38.74 | 28.598
45 | 2020-02-10 | 12 | 1 | 3.4681 | Yes | 38.74 | 35.2719
46 | 2020-02-10 | 12 | 2 | -0.01004 | Yes | 38.74 | 38.75
47 | 2020-02-10 | 12 | 3 | -0.01028 | Yes | 38.74 | 38.7503
48 | 2020-02-10 | 12 | 4 | 3.4508 | Yes | 38.74 | 35.2893
49 | 2020-02-10 | 12 | 5 | 11.4021 | Yes | 38.74 | 27.3379
50 | 2020-02-10 | 12 | 6 | 10.6922 | Yes | 38.74 | 28.0478
51 | 2020-02-10 | 12 | 7 | 11.3899 | Yes | 38.74 | 27.3501
52 | 2020-02-10 | 12 | 8 | 11.1468 | Yes | 38.74 | 27.5932
53 | 2020-02-10 | 12 | 9 | 11.0532 | Yes | 38.74 | 27.6868
54 | 2020-02-10 | 12 | 10 | 0 | Yes | 38.74 | 38.74
55 | 2020-02-10 | 12 | 11 | 0 | Yes | 38.74 | 38.74
56 | 2020-02-10 | 12 | 12 | 10.6824 | Yes | 38.74 | 28.0576
57 | 2020-02-10 | 13 | 1 | 10.6787 | Yes | 38.74 | 28.0613
58 | 2020-02-10 | 13 | 2 | 3.4586 | Yes | 38.74 | 35.2814
59 | 2020-02-10 | 13 | 3 | 10.5942 | Yes | 38.74 | 28.1458
60 | 2020-02-10 | 13 | 4 | 0 | Yes | 38.74 | 38.74
61 | 2020-02-10 | 13 | 5 | -0.01044 | Yes | 38.74 | 38.7504
62 | 2020-02-10 | 13 | 6 | -0.0105 | Yes | 38.74 | 38.7505
63 | 2020-02-10 | 13 | 7 | -0.01044 | Yes | 38.74 | 38.7504
64 | 2020-02-10 | 13 | 8 | 9.8443 | Yes | 38.74 | 28.8957
65 | 2020-02-10 | 13 | 9 | 9.8443 | Yes | 38.74 | 28.8957
66 | 2020-02-10 | 13 | 10 | 11.815 | Yes | 38.74 | 26.925
67 | 2020-02-10 | 13 | 11 | 11.7846 | Yes | 38.74 | 26.9554
68 | 2020-02-10 | 13 | 12 | 13.4777 | Yes | 38.74 | 25.2623
69 | 2020-02-10 | 14 | 1 | 12.9101 | Yes | 38.74 | 25.8299
70 | 2020-02-10 | 14 | 2 | 13.6303 | Yes | 38.74 | 25.1097
71 | 2020-02-10 | 14 | 3 | 12.9101 | Yes | 38.74 | 25.8299
72 | 2020-02-10 | 14 | 4 | 13.5689 | Yes | 38.74 | 25.1711
73 | 2020-02-11 | 8 | 1 | 26.7864 | Yes | 38.77 | 11.9835
74 | 2020-02-11 | 8 | 2 | 24.9855 | Yes | 38.77 | 13.7845
75 | 2020-02-11 | 8 | 3 | 24.567 | Yes | 41.69 | 17.123
76 | 2020-02-11 | 8 | 4 | 25.2602 | Yes | 41.69 | 16.4298
77 | 2020-02-11 | 8 | 5 | 24.0279 | Yes | 41.69 | 17.6621
78 | 2020-02-11 | 8 | 6 | 22.5794 | Yes | 41.69 | 19.1106
79 | 2020-02-11 | 8 | 7 | 17.8671 | Yes | 41.69 | 23.8229
80 | 2020-02-11 | 8 | 8 | 17.5463 | Yes | 41.69 | 24.1437
81 | 2020-02-11 | 8 | 9 | 15.2852 | Yes | 41.69 | 26.4048
82 | 2020-02-11 | 8 | 10 | 14.5819 | Yes | 41.69 | 27.1081
83 | 2020-02-11 | 8 | 11 | 11.6159 | Yes | 41.69 | 30.0741
84 | 2020-02-11 | 8 | 12 | 11.7255 | Yes | 41.69 | 29.9645
85 | 2020-02-11 | 9 | 1 | 16.2826 | Yes | 41.69 | 25.4074
86 | 2020-02-11 | 9 | 2 | 17.6245 | Yes | 41.69 | 24.0655
87 | 2020-02-11 | 9 | 3 | 16.5619 | Yes | 41.69 | 25.1281
88 | 2020-02-11 | 9 | 4 | 16.9189 | Yes | 41.69 | 24.7711
89 | 2020-02-11 | 9 | 5 | 14.066 | Yes | 41.69 | 27.624
90 | 2020-02-11 | 9 | 6 | 15.0436 | Yes | 41.69 | 26.6464
91 | 2020-02-11 | 9 | 7 | 11.0922 | Yes | 41.69 | 30.5978
92 | 2020-02-11 | 9 | 8 | 4.6229 | Yes | 41.69 | 37.0671
93 | 2020-02-11 | 9 | 9 | 3.6326 | Yes | 41.69 | 38.0573
94 | 2020-02-11 | 9 | 10 | 3.587 | Yes | 41.69 | 38.103
95 | 2020-02-11 | 9 | 11 | 3.5661 | Yes | 41.69 | 38.1239
96 | 2020-02-11 | 9 | 12 | 0.01017 | Yes | 41.69 | 41.6798
97 | 2020-02-11 | 10 | 1 | 11.1574 | Yes | 41.69 | 30.5326
98 | 2020-02-11 | 10 | 2 | 11.5285 | Yes | 41.69 | 30.1615
99 | 2020-02-11 | 10 | 3 | 12.0974 | Yes | 41.69 | 29.5926
100 | 2020-02-11 | 10 | 4 | 11.0788 | Yes | 41.69 | 30.6112
101 | 2020-02-11 | 10 | 5 | 12.5588 | Yes | 41.69 | 29.1312
102 | 2020-02-11 | 10 | 6 | 12.5588 | Yes | 41.69 | 29.1312
103 | 2020-02-11 | 10 | 7 | 12.09 | Yes | 41.69 | 29.6
104 | 2020-02-11 | 10 | 8 | 11.31 | Yes | 41.69 | 30.38
105 | 2020-02-11 | 10 | 9 | 11.5176 | Yes | 41.69 | 30.1724
106 | 2020-02-11 | 10 | 10 | 11.52 | Yes | 41.69 | 30.17
107 | 2020-02-11 | 10 | 11 | 11.8188 | Yes | 41.69 | 29.8712
108 | 2020-02-11 | 10 | 12 | 11.1188 | Yes | 41.69 | 30.5712
109 | 2020-02-11 | 11 | 1 | 13.2088 | Yes | 41.69 | 28.4812
110 | 2020-02-11 | 11 | 2 | 15.1382 | Yes | 41.69 | 26.5517
111 | 2020-02-11 | 11 | 3 | 15.2576 | Yes | 41.69 | 26.4324
112 | 2020-02-11 | 11 | 4 | 14.4499 | Yes | 41.69 | 27.2401
113 | 2020-02-11 | 11 | 5 | 13.5576 | Yes | 41.69 | 28.1324
114 | 2020-02-11 | 11 | 6 | 11.9676 | Yes | 41.69 | 29.7224
115 | 2020-02-11 | 11 | 7 | 11.0088 | Yes | 41.69 | 30.6812
116 | 2020-02-11 | 11 | 8 | 9.7488 | Yes | 41.69 | 31.9412
117 | 2020-02-11 | 11 | 9 | 11.4648 | Yes | 41.69 | 30.2252
118 | 2020-02-11 | 11 | 10 | 11.3376 | Yes | 41.69 | 30.3524
119 | 2020-02-11 | 11 | 11 | 11.6613 | Yes | 41.69 | 30.0287
120 | 2020-02-11 | 11 | 12 | 11.0088 | Yes | 41.69 | 30.6812
121 | 2020-02-11 | 12 | 1 | 11.3082 | Yes | 41.69 | 30.3818
122 | 2020-02-11 | 12 | 2 | 9.2452 | Yes | 41.69 | 32.4448
123 | 2020-02-11 | 12 | 3 | 9.99 | Yes | 41.69 | 31.7
124 | 2020-02-11 | 12 | 4 | 9.9176 | Yes | 41.69 | 31.7724
125 | 2020-02-11 | 12 | 5 | 10.1376 | Yes | 41.69 | 31.5524
126 | 2020-02-11 | 12 | 6 | 9.99 | Yes | 41.69 | 31.7
127 | 2020-02-11 | 12 | 7 | 9.9988 | Yes | 41.69 | 31.6912
128 | 2020-02-11 | 12 | 8 | 9.99 | Yes | 41.69 | 31.7
129 | 2020-02-11 | 12 | 9 | 9.99 | Yes | 41.69 | 31.7
130 | 2020-02-11 | 12 | 10 | 9.7488 | Yes | 41.69 | 31.9412
131 | 2020-02-11 | 12 | 11 | 7.3757 | Yes | 41.69 | 34.3143
132 | 2020-02-11 | 12 | 12 | 0 | Yes | 41.69 | 41.69
133 | 2020-02-11 | 13 | 1 | 9.5652 | Yes | 41.69 | 32.1248
134 | 2020-02-11 | 13 | 2 | 9.9176 | Yes | 41.69 | 31.7724
135 | 2020-02-11 | 13 | 3 | 9.9176 | Yes | 41.69 | 31.7724
136 | 2020-02-11 | 13 | 4 | 4.2864 | Yes | 41.69 | 37.4036
137 | 2020-02-11 | 13 | 5 | 9.7488 | Yes | 41.69 | 31.9412
138 | 2020-02-11 | 13 | 6 | 9.9976 | Yes | 41.69 | 31.6924
139 | 2020-02-11 | 13 | 7 | 4.2976 | Yes | 41.69 | 37.3924
140 | 2020-02-11 | 13 | 8 | 4.2876 | Yes | 41.69 | 37.4024
141 | 2020-02-11 | 13 | 9 | 4.2976 | Yes | 41.69 | 37.3924
142 | 2020-02-11 | 13 | 10 | 4.2876 | Yes | 41.69 | 37.4024
143 | 2020-02-11 | 13 | 11 | 4.2976 | Yes | 41.69 | 37.3924
144 | 2020-02-11 | 13 | 12 | 7.9976 | Yes | 41.69 | 33.6924
145 | 2020-02-11 | 14 | 1 | 2.5079 | Yes | 41.69 | 39.1821
146 | 2020-02-11 | 14 | 2 | 4.5208 | Yes | 41.69 | 37.1692
147 | 2020-02-11 | 14 | 3 | 4.5208 | Yes | 41.69 | 37.1692
148 | 2020-02-11 | 14 | 4 | 5.159 | Yes | 41.69 | 36.531
149 | 2020-02-11 | 14 | 5 | 8.5104 | Yes | 41.69 | 33.1796
150 | 2020-02-11 | 14 | 6 | 10.1112 | Yes | 41.69 | 31.5788
151 | 2020-02-11 | 14 | 7 | 10.1311 | Yes | 41.69 | 31.5589
152 | 2020-02-11 | 14 | 8 | 10.1311 | Yes | 41.69 | 31.5589
153 | 2020-02-11 | 14 | 9 | 10.4623 | Yes | 41.69 | 31.2277
154 | 2020-02-11 | 14 | 10 | 12.6242 | Yes | 41.69 | 29.0658
155 | 2020-02-11 | 14 | 11 | 10.369 | Yes | 41.69 | 31.321
156 | 2020-02-11 | 14 | 12 | 10.351 | Yes | 41.69 | 31.339
157 | 2020-02-11 | 15 | 1 | 9.6709 | Yes | 41.69 | 32.0191
158 | 2020-02-11 | 15 | 2 | 9.9393 | Yes | 41.69 | 31.7507
159 | 2020-02-11 | 15 | 3 | 2.5399 | Yes | 41.69 | 39.1501
160 | 2020-02-11 | 15 | 4 | -0.01064 | Yes | 41.69 | 41.7006
161 | 2020-02-11 | 15 | 5 | -0.01036 | Yes | 41.69 | 41.7004
162 | 2020-02-11 | 15 | 6 | 0.01006 | Yes | 41.69 | 41.6799
163 | 2020-02-11 | 15 | 7 | -0.01034 | Yes | 41.69 | 41.7003
164 | 2020-02-11 | 15 | 8 | 0 | Yes | 41.69 | 41.69
165 | 2020-02-11 | 15 | 9 | -0.01034 | Yes | 41.69 | 41.7003
166 | 2020-02-11 | 15 | 10 | -0.01033 | Yes | 41.69 | 41.7003
167 | 2020-02-11 | 15 | 11 | -0.01032 | Yes | 41.69 | 41.7003
168 | 2020-02-11 | 15 | 12 | 2.5187 | Yes | 41.69 | 39.1713
169 | 2020-02-11 | 16 | 1 | 10.1579 | Yes | 41.69 | 31.5321
170 | 2020-02-11 | 16 | 2 | 11.5767 | Yes | 41.69 | 30.1133
171 | 2020-02-11 | 16 | 3 | 10.1999 | Yes | 41.69 | 31.4901
172 | 2020-02-11 | 16 | 4 | 2.601 | Yes | 41.69 | 39.089
173 | 2020-02-11 | 16 | 5 | 10.4162 | Yes | 41.69 | 31.2738
174 | 2020-02-11 | 16 | 6 | 11.7281 | Yes | 41.69 | 29.9619
175 | 2020-02-11 | 16 | 7 | 11.5994 | Yes | 41.69 | 30.0906
176 | 2020-02-11 | 16 | 8 | 12.4848 | Yes | 41.69 | 29.2052
177 | 2020-02-11 | 16 | 9 | 13.0572 | Yes | 41.69 | 28.6328
178 | 2020-02-11 | 16 | 10 | 14.1241 | Yes | 41.69 | 27.5659
179 | 2020-02-11 | 16 | 11 | 14.1936 | Yes | 41.69 | 27.4963
180 | 2020-02-11 | 16 | 12 | 13.6654 | Yes | 41.69 | 28.0246
181 | 2020-02-11 | 17 | 1 | 9.7488 | Yes | 41.69 | 31.9412
182 | 2020-02-11 | 17 | 2 | 11.6888 | Yes | 41.69 | 30.0012
183 | 2020-02-11 | 17 | 3 | 13.7788 | Yes | 41.69 | 27.9112
184 | 2020-02-11 | 17 | 4 | 13.7788 | Yes | 41.69 | 27.9112
185 | 2020-02-11 | 17 | 5 | 19.7336 | Yes | 41.69 | 21.9564
186 | 2020-02-11 | 17 | 6 | 24.8812 | Yes | 41.69 | 16.8088
187 | 2020-02-11 | 17 | 7 | 19.5912 | Yes | 41.69 | 22.0988
188 | 2020-02-11 | 17 | 8 | 20.99 | Yes | 41.69 | 20.7
189 | 2020-02-11 | 17 | 9 | 28.4305 | Yes | 41.69 | 13.2595
190 | 2020-02-11 | 17 | 10 | 25.1912 | Yes | 41.69 | 16.4988
191 | 2020-02-11 | 17 | 11 | 28.71 | Yes | 41.69 | 12.98
192 | 2020-02-11 | 17 | 12 | 28.5669 | Yes | 41.69 | 13.1231
193 | 2020-02-11 | 18 | 1 | 23.1379 | Yes | 41.69 | 18.5521
194 | 2020-02-11 | 18 | 2 | 22.8845 | Yes | 41.69 | 18.8055
195 | 2020-02-11 | 18 | 3 | 23.9731 | Yes | 41.69 | 17.7169
196 | 2020-02-11 | 18 | 4 | 24.7209 | Yes | 41.69 | 16.9691
197 | 2020-02-11 | 18 | 5 | 24.9026 | Yes | 41.69 | 16.7874
198 | 2020-02-11 | 18 | 6 | 25.2005 | Yes | 41.69 | 16.4895
199 | 2020-02-11 | 18 | 7 | 29.87 | Yes | 41.69 | 11.82
200 | 2020-02-11 | 18 | 8 | 28.71 | Yes | 41.69 | 12.98
201 | 2020-02-11 | 18 | 9 | 40.6091 | Yes | 41.69 | 1.0809
202 | 2020-02-11 | 18 | 10 | 994.7778 | Yes | 41.69 | -953.0879
203 | 2020-02-11 | 18 | 11 | 1000 | Yes | 41.69 | -958.31
204 | 2020-02-11 | 18 | 12 | 1000 | Yes | 41.69 | -958.31
205 | 2020-02-11 | 19 | 1 | 40.369 | Yes | 41.69 | 1.321
206 | 2020-02-11 | 19 | 2 | 32.0422 | Yes | 41.69 | 9.6478
207 | 2020-02-13 | 8 | 7 | 28.9849 | Yes | 42 | 13.0151
208 | 2020-02-13 | 8 | 9 | 22.9619 | Yes | 42 | 19.0381
209 | 2020-02-13 | 8 | 10 | 22.5592 | Yes | 42 | 19.4408
210 | 2020-02-13 | 8 | 11 | 19.9219 | Yes | 42 | 22.0781
211 | 2020-02-13 | 8 | 12 | 20.0836 | Yes | 42 | 21.9164
212 | 2020-02-13 | 9 | 1 | 28.3304 | Yes | 42 | 13.6695
213 | 2020-02-13 | 9 | 2 | 28.3304 | Yes | 42 | 13.6695
214 | 2020-02-13 | 9 | 3 | 24.7274 | Yes | 42 | 17.2726
215 | 2020-02-13 | 9 | 4 | 20.831 | Yes | 42 | 21.169
216 | 2020-02-13 | 9 | 5 | 16.1014 | Yes | 42 | 25.8986
217 | 2020-02-13 | 9 | 6 | 15.7218 | Yes | 42 | 26.2782
218 | 2020-02-13 | 9 | 7 | 16.2403 | Yes | 42 | 25.7597
219 | 2020-02-13 | 9 | 8 | 15.4893 | Yes | 42 | 26.5108
220 | 2020-02-13 | 9 | 9 | 15.0527 | Yes | 42 | 26.9473
221 | 2020-02-13 | 9 | 10 | 13.9611 | Yes | 42 | 28.0389
222 | 2020-02-13 | 9 | 11 | 13.5775 | Yes | 42 | 28.4225
223 | 2020-02-13 | 9 | 12 | 13.4769 | Yes | 42 | 28.5231
224 | 2020-02-13 | 10 | 1 | 14.9529 | Yes | 42 | 27.0471
225 | 2020-02-13 | 10 | 2 | 16.2322 | Yes | 42 | 25.7678
226 | 2020-02-13 | 10 | 3 | 17.3822 | Yes | 42 | 24.6178
227 | 2020-02-13 | 10 | 4 | 19.7012 | Yes | 42 | 22.2988
228 | 2020-02-13 | 10 | 5 | 20.5635 | Yes | 42 | 21.4365
229 | 2020-02-13 | 10 | 6 | 20.7003 | Yes | 42 | 21.2997
230 | 2020-02-13 | 10 | 7 | 21.6273 | Yes | 42 | 20.3727
231 | 2020-02-13 | 10 | 8 | 18.6353 | Yes | 42 | 23.3647
232 | 2020-02-13 | 10 | 9 | 19.7117 | Yes | 42 | 22.2883
233 | 2020-02-13 | 10 | 10 | 18.4632 | Yes | 42 | 23.5368
234 | 2020-02-13 | 10 | 11 | 17.4244 | Yes | 42 | 24.5756
235 | 2020-02-13 | 10 | 12 | 18.1554 | Yes | 42 | 23.8446
236 | 2020-02-13 | 11 | 1 | 20.8332 | Yes | 42 | 21.1668
237 | 2020-02-13 | 11 | 2 | 20.8844 | Yes | 42 | 21.1156
238 | 2020-02-13 | 11 | 3 | 21.219 | Yes | 42 | 20.781
239 | 2020-02-13 | 11 | 4 | 21.4068 | Yes | 42 | 20.5932
240 | 2020-02-13 | 11 | 5 | 21.3289 | Yes | 42 | 20.6711
241 | 2020-02-13 | 11 | 6 | 20.8549 | Yes | 42 | 21.1451
242 | 2020-02-13 | 11 | 7 | 19.8625 | Yes | 42 | 22.1375
243 | 2020-02-13 | 11 | 8 | 19.8612 | Yes | 42 | 22.1388
244 | 2020-02-13 | 11 | 9 | 19.8241 | Yes | 42 | 22.1759
245 | 2020-02-13 | 11 | 10 | 19.7324 | Yes | 42 | 22.2676
246 | 2020-02-13 | 11 | 11 | 19.7324 | Yes | 42 | 22.2676
247 | 2020-02-13 | 11 | 12 | 19.7324 | Yes | 42 | 22.2676
248 | 2020-02-13 | 12 | 1 | 20.261 | Yes | 42 | 21.739
249 | 2020-02-13 | 12 | 2 | 21.6854 | Yes | 42 | 20.3146
250 | 2020-02-13 | 12 | 3 | 17.6017 | Yes | 42 | 24.3983
251 | 2020-02-13 | 12 | 4 | 17.4968 | Yes | 42 | 24.5032
252 | 2020-02-13 | 12 | 5 | 17.4761 | Yes | 42 | 24.5239
253 | 2020-02-13 | 12 | 6 | 17.4658 | Yes | 42 | 24.5342
254 | 2020-02-13 | 12 | 7 | 17.2408 | Yes | 39.05 | 21.8092
255 | 2020-02-13 | 12 | 8 | 17.2408 | Yes | 39.05 | 21.8092
256 | 2020-02-13 | 12 | 9 | 16.1069 | Yes | 39.05 | 22.9431
257 | 2020-02-13 | 12 | 10 | 15.2264 | Yes | 39.05 | 23.8236
258 | 2020-02-13 | 12 | 11 | 15.2088 | Yes | 39.05 | 23.8412
259 | 2020-02-13 | 12 | 12 | 14.7676 | Yes | 39.05 | 24.2824
260 | 2020-02-13 | 13 | 1 | 16.0769 | Yes | 39.05 | 22.9731
261 | 2020-02-13 | 13 | 2 | 15.6595 | Yes | 39.05 | 23.3905
262 | 2020-02-13 | 13 | 3 | 15.8621 | Yes | 39.05 | 23.1879
263 | 2020-02-13 | 13 | 4 | 15.5456 | Yes | 39.05 | 23.5044
264 | 2020-02-13 | 13 | 5 | 15.3185 | Yes | 39.05 | 23.7315
265 | 2020-02-13 | 13 | 6 | 15.3185 | Yes | 39.05 | 23.7315
266 | 2020-02-13 | 13 | 7 | 15.2613 | Yes | 39.05 | 23.7887
267 | 2020-02-13 | 13 | 8 | 15.7121 | Yes | 39.05 | 23.3379
268 | 2020-02-13 | 13 | 9 | 15.5071 | Yes | 39.05 | 23.5429
269 | 2020-02-13 | 13 | 10 | 14.7664 | Yes | 39.05 | 24.2836
270 | 2020-02-13 | 13 | 11 | 14.9276 | Yes | 39.05 | 24.1224
271 | 2020-02-13 | 13 | 12 | 15.7076 | Yes | 39.05 | 23.3424
272 | 2020-02-13 | 14 | 1 | 15.7615 | Yes | 39.05 | 23.2885
273 | 2020-02-13 | 14 | 2 | 15.8669 | Yes | 39.05 | 23.1831
274 | 2020-02-13 | 14 | 3 | 15.2958 | Yes | 39.05 | 23.7542
275 | 2020-02-13 | 14 | 4 | 15.1893 | Yes | 39.05 | 23.8607
276 | 2020-02-13 | 14 | 5 | 15.1184 | Yes | 39.05 | 23.9316
277 | 2020-02-13 | 14 | 6 | 15.1504 | Yes | 39.05 | 23.8996

## Price_Impact_B
Table 9: Price Impact Analysis Information for Pricing Node B in SCE LAP
Number | Trade Date | Trade Hour | Interval | Market LMP | Eligible Flag | Calculated LMP | Change in LMP
1 | 2020-02-03 | 15 | 1 | 20.5118 | Yes | 31.88 | 11.3682
2 | 2020-02-03 | 15 | 2 | 33.3311 | Yes | 31.95 | -1.3811
3 | 2020-02-03 | 15 | 3 | 31.2233 | Yes | 31.95 | 0.72672
4 | 2020-02-03 | 15 | 4 | 21.2652 | Yes | 31.95 | 10.6848
5 | 2020-02-03 | 15 | 5 | 25.4551 | Yes | 31.95 | 6.4949
6 | 2020-02-03 | 15 | 6 | 27.1208 | Yes | 31.95 | 4.8293
7 | 2020-02-03 | 15 | 7 | 26.975 | Yes | 31.95 | 4.975
8 | 2020-02-03 | 15 | 8 | 27.3261 | Yes | 31.95 | 4.6239
9 | 2020-02-03 | 15 | 9 | 30.8 | Yes | 31.95 | 1.15
10 | 2020-02-03 | 15 | 10 | 31.95 | Yes | 31.95 | 0
11 | 2020-02-03 | 15 | 11 | 31.95 | Yes | 31.95 | 0
12 | 2020-02-03 | 15 | 12 | 31.95 | Yes | 31.95 | 0
13 | 2020-02-03 | 16 | 1 | 20.8952 | Yes | 31.95 | 11.0548
14 | 2020-02-03 | 16 | 2 | 20.5126 | Yes | 31.95 | 11.4374
15 | 2020-02-03 | 16 | 3 | 20.4135 | Yes | 31.95 | 11.5365
16 | 2020-02-03 | 16 | 4 | 21.6916 | Yes | 31.95 | 10.2584
17 | 2020-02-03 | 16 | 5 | 21.3131 | Yes | 31.95 | 10.6369
18 | 2020-02-03 | 16 | 6 | 22.1861 | Yes | 31.95 | 9.7639
19 | 2020-02-03 | 16 | 7 | 27.6428 | Yes | 31.95 | 4.3072
20 | 2020-02-03 | 16 | 8 | 26.606 | Yes | 31.95 | 5.344
21 | 2020-02-03 | 16 | 9 | 29.226 | Yes | 31.95 | 2.7241
22 | 2020-02-03 | 16 | 10 | 30.8 | Yes | 31.95 | 1.15
23 | 2020-02-03 | 16 | 11 | 30.8 | Yes | 31.95 | 1.15
24 | 2020-02-03 | 16 | 12 | 30.8 | Yes | 31.95 | 1.15
25 | 2020-02-03 | 17 | 1 | 15.0012 | Yes | 31.95 | 16.9488
26 | 2020-02-03 | 17 | 2 | 13.8188 | Yes | 31.95 | 18.1312
27 | 2020-02-03 | 17 | 3 | 17.0188 | Yes | 31.95 | 14.9312
28 | 2020-02-03 | 17 | 4 | 17.0188 | Yes | 31.95 | 14.9312
29 | 2020-02-03 | 17 | 5 | 17.0188 | Yes | 31.95 | 14.9312
30 | 2020-02-03 | 17 | 6 | 17.0188 | Yes | 31.95 | 14.9312
31 | 2020-02-05 | 7 | 12 | 60.0253 | Yes | 40.13 | -19.8953
32 | 2020-02-05 | 8 | 1 | 55.2808 | Yes | 40.13 | -15.1508
33 | 2020-02-05 | 8 | 2 | 1255.636 | Yes | 40.13 | -1215.506
34 | 2020-02-05 | 8 | 3 | 1164.4767 | Yes | 40.13 | -1124.3467
35 | 2020-02-05 | 8 | 4 | 1143.4302 | Yes | 40.13 | -1103.3002
36 | 2020-02-05 | 8 | 5 | 1255.5654 | Yes | 40.13 | -1215.4354
37 | 2020-02-05 | 8 | 6 | 975.6803 | Yes | 40.13 | -935.5503
38 | 2020-02-05 | 8 | 7 | 1270.0209 | Yes | 40.13 | -1229.8909
39 | 2020-02-05 | 8 | 8 | 65.84 | Yes | 40.13 | -25.7099
40 | 2020-02-05 | 8 | 9 | 197.6581 | Yes | 40.13 | -157.5281
41 | 2020-02-05 | 8 | 10 | 90.7109 | Yes | 40.13 | -50.5809
42 | 2020-02-05 | 8 | 11 | 56.1079 | Yes | 40.13 | -15.9779
43 | 2020-02-05 | 8 | 12 | 28.8173 | Yes | 40.13 | 11.3127
44 | 2020-02-05 | 9 | 1 | 34.6849 | Yes | 40.13 | 5.4451
45 | 2020-02-05 | 9 | 2 | 60.8706 | Yes | 40.13 | -20.7406
46 | 2020-02-05 | 9 | 3 | 61.1014 | Yes | 40.13 | -20.9714
47 | 2020-02-05 | 9 | 4 | 40.2653 | Yes | 40.13 | -0.13526
48 | 2020-02-05 | 9 | 5 | 34.363 | Yes | 40.13 | 5.767
49 | 2020-02-05 | 9 | 6 | 28.6245 | Yes | 40.13 | 11.5055
50 | 2020-02-05 | 9 | 7 | 26.2033 | Yes | 40.13 | 13.9267
51 | 2020-02-05 | 9 | 8 | 21.4072 | Yes | 40.13 | 18.7228
52 | 2020-02-05 | 9 | 9 | 21.3728 | Yes | 40.13 | 18.7572
53 | 2020-02-05 | 9 | 10 | 13.3448 | Yes | 40.13 | 26.7852
54 | 2020-02-05 | 9 | 11 | 13.9679 | Yes | 40.13 | 26.1621
55 | 2020-02-05 | 9 | 12 | 15.9097 | Yes | 40.13 | 24.2203
56 | 2020-02-05 | 10 | 1 | 21.6879 | Yes | 40.13 | 18.4421
57 | 2020-02-05 | 10 | 2 | 22.2175 | Yes | 40.13 | 17.9125
58 | 2020-02-05 | 10 | 3 | 29.5105 | Yes | 40.13 | 10.6195
59 | 2020-02-05 | 10 | 4 | 27.9463 | Yes | 40.13 | 12.1837
60 | 2020-02-05 | 10 | 5 | 27.9463 | Yes | 40.13 | 12.1837
61 | 2020-02-05 | 10 | 6 | 23.2023 | Yes | 40.13 | 16.9277
62 | 2020-02-05 | 10 | 7 | 22.4502 | Yes | 40.13 | 17.6798
63 | 2020-02-05 | 10 | 8 | 22.8101 | Yes | 40.13 | 17.3199
64 | 2020-02-05 | 10 | 9 | 22.0416 | Yes | 40.13 | 18.0884
65 | 2020-02-05 | 10 | 10 | 22.2113 | Yes | 40.13 | 17.9187
66 | 2020-02-05 | 10 | 11 | 24.5538 | Yes | 40.13 | 15.5762
67 | 2020-02-05 | 10 | 12 | 34.4791 | Yes | 40.13 | 5.6509
68 | 2020-02-05 | 11 | 1 | 32.3345 | Yes | 40.13 | 7.7955
69 | 2020-02-05 | 11 | 2 | 21.4948 | Yes | 40.13 | 18.6352
70 | 2020-02-05 | 11 | 3 | 22.2582 | Yes | 28.2 | 5.9418
71 | 2020-02-05 | 11 | 4 | 36.0726 | Yes | 28.2 | -7.8726
72 | 2020-02-05 | 11 | 5 | 28.2 | Yes | 28.2 | 0
73 | 2020-02-05 | 11 | 6 | 28.2 | Yes | 28.2 | 0
74 | 2020-02-05 | 11 | 7 | 28.2 | Yes | 28.2 | 0
75 | 2020-02-05 | 11 | 8 | 28.2 | Yes | 28.2 | 0
76 | 2020-02-05 | 11 | 9 | 28.2 | Yes | 28.2 | 0
77 | 2020-02-05 | 11 | 10 | 18.6125 | Yes | 28.2 | 9.5875
78 | 2020-02-05 | 11 | 11 | 18.2573 | Yes | 28.2 | 9.9427
79 | 2020-02-05 | 11 | 12 | 17.0401 | Yes | 28.2 | 11.1599
80 | 2020-02-05 | 17 | 10 | 37.2043 | Yes | 28.2 | -9.0043
81 | 2020-02-05 | 17 | 11 | 36.7276 | Yes | 28.2 | -8.5276
82 | 2020-02-05 | 17 | 12 | 35.3314 | Yes | 28.2 | -7.1314
83 | 2020-02-05 | 18 | 1 | 20.8863 | Yes | 28.2 | 7.3137
84 | 2020-02-05 | 18 | 2 | 22.1382 | Yes | 28.2 | 6.0618
85 | 2020-02-05 | 18 | 3 | 22.4259 | Yes | 28.2 | 5.7741
86 | 2020-02-05 | 18 | 4 | 26.7818 | Yes | 28.2 | 1.4182
87 | 2020-02-05 | 18 | 5 | 27.2636 | Yes | 28.2 | 0.93639
88 | 2020-02-05 | 18 | 6 | 27.2503 | Yes | 28.2 | 0.94968
89 | 2020-02-05 | 18 | 7 | 34.3954 | Yes | 28.2 | -6.1954
90 | 2020-02-05 | 18 | 8 | 34.3876 | Yes | 28.2 | -6.1876
91 | 2020-02-05 | 18 | 9 | 38.5083 | Yes | 28.2 | -10.3083
92 | 2020-02-05 | 18 | 10 | 34.7079 | Yes | 28.2 | -6.508
93 | 2020-02-05 | 18 | 11 | 34.2275 | Yes | 28.2 | -6.0275
94 | 2020-02-05 | 18 | 12 | 34.212 | Yes | 28.2 | -6.012
95 | 2020-02-12 | 14 | 7 | 24.89 | Yes | 24.89 | 0
96 | 2020-02-12 | 14 | 8 | 24.89 | Yes | 24.89 | 0
97 | 2020-02-12 | 14 | 9 | 24.89 | Yes | 24.89 | 0
98 | 2020-02-12 | 14 | 10 | 24.89 | Yes | 24.89 | 0
99 | 2020-02-12 | 14 | 11 | 24.89 | Yes | 24.89 | 0
100 | 2020-02-12 | 14 | 12 | 24.5033 | Yes | 24.89 | 0.38668

## Bid_Mitigation
Table 10: Exceptional Dispatch Bid Mitigation Analysis Information
Type | Number of Resources | Costs without Bid Mitigation | Costs with Bid Mitigation | Cost Savings
NONTMOD | 1 | 0 | 0 | 0
Total | 1 | 0 | 0 | 0