## Table 2
California Independent System Operator Corporation Exceptional Dispatch Report
Chart 2: Table of Exceptional Dispatches for October 2017
Number | Market Type | Reason | Location | Local Reliability Area | Trade Date | MW | Commitment | INC_DEC | Hours | Begin Time | End Time | Total MWH | Min Load cost | Startup Cost | CC6470 | ED MWH (INC/DEC) | CC6470 INC | CC6470 DEC | CC6482 | CC6488 | CC6620
1 | RT | Bridging Schedules | PG&E | Fresno | 2017-10-18 | 22 | No | INC | 7 | 10:30 | 17:00 | 17.2933 | 12726.0426 | 0 | -301.5222 | 0 | 0 | 0 | 0 | 0 | 0
2 | RT | Bridging Schedules | PG&E | N/A | 2017-10-18 | 47 | No | DEC | 6 | 10:45 | 16:00 | 23.8734 | 15629.7397 | 399.8357 | 1424.1215 | 0 | 0 | 0 | 0 | 0 | 0
3 | RT | Bridging Schedules | SCE | Big Creek-Ventura | 2017-10-24 | 100 | No | INC | 2 | 22:00 | 24:00 | -0.057292 | 0 | 0 | 3.0892 | 0 | 0 | 0 | 0 | 0 | 0
4 | RT | Conditions beyond the control of the CAISO | PG&E | N/A | 2017-10-27 | 47 | No | DEC | 3 | 8:10 | 10:30 | 48.8648 | -3014.9996 | 0 | -1154.5209 | 0 | 0 | 0 | 0 | 0 | 0
5 | RT | Conditions beyond the control of the CAISO | PG&E | N/A | 2017-10-27 | 47 | No | INC | 3 | 8:10 | 10:30 | 1.2298 | 3462.1652 | 0 | -29.7043 | 0 | 0 | 0 | 0 | 0 | 0
6 | RT | Contingency Dispatch | SCE | LA Basin | 2017-10-24 | 96- 280 | No | INC | 3 | 18:04 | 21:00 | 144.5084 | 3451.6667 | 192.7723 | -42894.9608 | 76.3397 | 0 | 0 | -8986.5412 | 0 | 0
7 | RT | Contingency Dispatch | SDG&E | San Diego-IV | 2017-10-23 | 104 | No | INC | 1 | 10:08 | 10:20 | 5.8334 | 0 | 0 | -1197.6903 | 3.3334 | -259.3721 | 0 | -16.8382 | 0 | 0
8 | RT | Contingency Dispatch | SCE | LA Basin | 2017-10-24 | 46 | No | INC | 1 | 19:30 | 20:00 | 13.5538 | 0 | 22.1026 | -2706.3719 | 2.4465 | -303.5027 | 0 | -120.9829 | 0 | 0
9 | RT | Fast Start Unit Management | SCE | LA Basin | 2017-10-23 | 0 | No | INC | 2 | 21:05 | 23:05 | -42.6517 | 1419.1667 | 66.0784 | 0 | -42.6517 | 0 | 0 | 0 | 0 | 0
10 | RT | Fast Start Unit Management | SCE | LA Basin | 2017-10-24 | 0 | No | DEC | 1 | 23:30 | 24:00 | -12.01 | -482.8333 | 0 | 0 | -12.01 | 0 | 0 | 0 | 0 | 0
11 | RT | Fast Start Unit Management | SCE | LA Basin | 2017-10-24 | 0 | No | INC | 2 | 22:00 | 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | RT | Fast Start Unit Management | SCE | LA Basin | 2017-10-25 | 0 | No | DEC | 1 | 0:00 | 0:10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | RT | Fast Start Unit Management | SCE | LA Basin | 2017-10-25 | 0 | No | INC | 21 | 0:00 | 20:30 | -6.3958 | 954.8833 | 0 | 0 | -6.3958 | 0 | 0 | 0 | 0 | 0
14 | RT | Fast Start Unit Management | SDG&E | San Diego-IV | 2017-10-23 | 0 | No | INC | 1 | 21:45 | 22:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | RT | Incomplete or Inaccurate Transmission | PG&E | Fresno | 2017-10-01 | 5- 31 | No | DEC | 24 | 0:00 | 24:00 | -0.088176 | 0 | 0 | 9.7526 | 0 | 0 | 0 | 0 | 0 | 0
16 | RT | Incomplete or Inaccurate Transmission | PG&E | Fresno | 2017-10-01 | 9- 40 | No | INC | 24 | 0:00 | 24:00 | 2.2223 | 0 | 0 | 7.8666 | 0 | 0 | 0 | 0 | 0 | 0
17 | RT | Incomplete or Inaccurate Transmission | PG&E | Fresno | 2017-10-02 | 4- 40 | No | INC | 18 | 6:25 | 24:00 | 2.8996 | 0 | 0 | -58.9134 | 0 | 0 | 0 | 0 | 0 | 0
18 | RT | Incomplete or Inaccurate Transmission | PG&E | Fresno | 2017-10-02 | 10- 36 | No | DEC | 18 | 6:40 | 24:00 | -0.70518 | 0 | 0 | 8.6201 | 0 | 0 | 0 | 0 | -0.080525 | 0
19 | RT | Incomplete or Inaccurate Transmission | PG&E | Fresno | 2017-10-03 | 4- 40 | No | INC | 24 | 0:00 | 24:00 | 6.0785 | 0 | 0 | -94.3538 | 0 | 0 | 0 | 0 | 0 | 0
20 | RT | Incomplete or Inaccurate Transmission | PG&E | Fresno | 2017-10-03 | 5- 36 | No | DEC | 24 | 0:00 | 24:00 | 0.16229 | 0 | 0 | -5.4037 | 0 | 0 | 0 | 0 | 0 | 0
21 | RT | Incomplete or Inaccurate Transmission | PG&E | Fresno | 2017-10-04 | 4- 40 | No | INC | 24 | 0:00 | 24:00 | 4.0196 | 0 | 0 | -156.4156 | 0 | 0 | 0 | 0 | 0 | 0
22 | RT | Incomplete or Inaccurate Transmission | PG&E | Fresno | 2017-10-04 | 5- 36 | No | DEC | 24 | 0:00 | 24:00 | 1.6759 | 0 | 0 | -42.0651 | 0 | 0 | 0 | 0 | 0 | 0
23 | RT | Incomplete or Inaccurate Transmission | PG&E | Fresno | 2017-10-05 | 4- 40 | No | INC | 24 | 0:00 | 24:00 | 4.9115 | 0 | 0 | -61.1564 | 0 | 0 | 0 | 0 | 0 | 0
24 | RT | Incomplete or Inaccurate Transmission | PG&E | Fresno | 2017-10-05 | 5- 36 | No | DEC | 24 | 0:00 | 24:00 | -0.40789 | 0 | 0 | 10.1175 | 0 | 0 | 0 | 0 | 0 | 0
25 | RT | Incomplete or Inaccurate Transmission | PG&E | Fresno | 2017-10-06 | 9- 40 | No | INC | 24 | 0:00 | 24:00 | 7.5523 | 0 | 0 | -175.8732 | 0 | 0 | 0 | 0 | 0 | 0
26 | RT | Incomplete or Inaccurate Transmission | PG&E | Fresno | 2017-10-06 | 13- 31 | No | DEC | 24 | 0:00 | 24:00 | 2.0502 | 0 | 0 | -49.1792 | 0 | 0 | 0 | 0 | 0 | 0
27 | RT | Incomplete or Inaccurate Transmission | PG&E | Fresno | 2017-10-07 | 5- 31 | No | DEC | 24 | 0:00 | 24:00 | 1.2095 | 0 | 0 | -26.6296 | 0 | 0 | 0 | 0 | 0 | 0
28 | RT | Incomplete or Inaccurate Transmission | PG&E | Fresno | 2017-10-07 | 9- 40 | No | INC | 24 | 0:00 | 24:00 | 3.9276 | 0 | 0 | -91.3813 | 0 | 0 | 0 | 0 | 0 | 0
29 | RT | Incomplete or Inaccurate Transmission | PG&E | Fresno | 2017-10-08 | 5- 24 | No | DEC | 24 | 0:00 | 24:00 | 2.0576 | 0 | 0 | 0.14493 | 0 | 0 | 0 | 0 | 0 | 0
30 | RT | Incomplete or Inaccurate Transmission | PG&E | Fresno | 2017-10-08 | 16- 40 | No | INC | 24 | 0:00 | 24:00 | 4.2665 | 0 | 0 | -8.9729 | 0 | 0 | 0 | 0 | 0 | 0
31 | RT | Incomplete or Inaccurate Transmission | PG&E | Fresno | 2017-10-09 | 10 | No | DEC | 24 | 0:00 | 24:00 | 2.2192 | 0 | 0 | -28.18 | 0 | 0 | 0 | 0 | 0 | 0
32 | RT | Incomplete or Inaccurate Transmission | PG&E | Fresno | 2017-10-09 | 30- 40 | No | INC | 24 | 0:00 | 24:00 | 2.4353 | 0 | 0 | 227.1403 | 0 | 0 | 0 | 0 | 0 | 0
33 | RT | Incomplete or Inaccurate Transmission | PG&E | Fresno | 2017-10-10 | 5- 24 | No | DEC | 24 | 0:00 | 24:00 | 1.698 | 0 | 0 | -41.6844 | 0 | 0 | 0 | 0 | 0 | 0
34 | RT | Incomplete or Inaccurate Transmission | PG&E | Fresno | 2017-10-10 | 16- 40 | No | INC | 24 | 0:00 | 24:00 | -14.5076 | 0 | 0 | 481.0983 | 0 | 0 | 0 | 0 | 0 | 0
35 | RT | Incomplete or Inaccurate Transmission | PG&E | Fresno | 2017-10-11 | 5 | No | DEC | 24 | 0:00 | 24:00 | 0.40875 | 0 | 0 | -11.8748 | 0 | 0 | 0 | 0 | 0 | 0
36 | RT | Incomplete or Inaccurate Transmission | PG&E | Fresno | 2017-10-11 | 35- 40 | No | INC | 24 | 0:00 | 24:00 | 3.3969 | 0 | 0 | -63.3527 | 0 | 0 | 0 | 0 | 0 | 0
37 | RT | Incomplete or Inaccurate Transmission | PG&E | Fresno | 2017-10-12 | 13- 24 | No | DEC | 24 | 0:00 | 24:00 | 0.13452 | 0 | 0 | -4.3866 | 0 | 0 | 0 | 0 | 0 | 0
38 | RT | Incomplete or Inaccurate Transmission | PG&E | Fresno | 2017-10-12 | 16- 40 | No | INC | 24 | 0:00 | 24:00 | 3.3001 | 0 | 0 | -140.5656 | 0 | 0 | 0 | 0 | 0 | 0
39 | RT | Incomplete or Inaccurate Transmission | PG&E | Fresno | 2017-10-13 | 5- 18 | No | DEC | 24 | 0:00 | 24:00 | 0.5425 | 0 | 0 | -12.6293 | 0 | 0 | 0 | 0 | 0 | 0
40 | RT | Incomplete or Inaccurate Transmission | PG&E | Fresno | 2017-10-13 | 22- 40 | No | INC | 24 | 0:00 | 24:00 | 2.8749 | 0 | 0 | 62.8623 | 0 | 0 | 0 | 0 | 0 | 0
41 | RT | Incomplete or Inaccurate Transmission | PG&E | Fresno | 2017-10-14 | 4- 40 | No | INC | 24 | 0:00 | 24:00 | 3.5893 | 0 | 0 | 53.4723 | 0 | 0 | 0 | 0 | 0 | 0
42 | RT | Incomplete or Inaccurate Transmission | PG&E | Fresno | 2017-10-14 | 5- 36 | No | DEC | 24 | 0:00 | 24:00 | 0.7926 | 0 | 0 | -12.1561 | 0 | 0 | 0 | 0 | 0 | 0
43 | RT | Incomplete or Inaccurate Transmission | PG&E | Fresno | 2017-10-15 | 5- 26 | No | DEC | 24 | 0:00 | 24:00 | 0.67271 | 0 | 0 | -3.2832 | 0 | 0 | 0 | 0 | 0 | 0
44 | RT | Incomplete or Inaccurate Transmission | PG&E | Fresno | 2017-10-15 | 14- 40 | No | INC | 24 | 0:00 | 24:00 | 1.0364 | 0 | 0 | -18.89 | 0 | 0 | 0 | 0 | 0 | 0
45 | RT | Incomplete or Inaccurate Transmission | PG&E | Fresno | 2017-10-16 | 40 | No | INC | 24 | 0:00 | 24:00 | -1.517 | 0 | 0 | 138.0799 | 0 | 0 | 0 | 0 | 0 | 0
46 | RT | Incomplete or Inaccurate Transmission | PG&E | Fresno | 2017-10-17 | 40 | No | INC | 24 | 0:00 | 24:00 | 9.7543 | 0 | 0 | -39.6341 | 0 | 0 | 0 | 0 | 0 | 0
47 | RT | Incomplete or Inaccurate Transmission | PG&E | Fresno | 2017-10-18 | 40 | No | INC | 24 | 0:00 | 24:00 | 12.9806 | 0 | 0 | -2183.3616 | 0 | 0 | 0 | 0 | 0 | 0
48 | RT | Incomplete or Inaccurate Transmission | PG&E | Fresno | 2017-10-19 | 40 | No | INC | 24 | 0:00 | 24:00 | 5.8801 | 0 | 0 | -138.4283 | 0 | 0 | 0 | 0 | 0 | 0
49 | RT | Incomplete or Inaccurate Transmission | PG&E | Fresno | 2017-10-20 | 4 | No | DEC | 24 | 0:00 | 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
50 | RT | Incomplete or Inaccurate Transmission | PG&E | Fresno | 2017-10-20 | 36- 40 | No | INC | 24 | 0:00 | 24:00 | -1.9472 | 0 | 0 | 125.4101 | 0 | 0 | 0 | 0 | 0 | 0
51 | RT | Incomplete or Inaccurate Transmission | PG&E | Fresno | 2017-10-21 | 4 | No | DEC | 24 | 0:00 | 24:00 | 0.51583 | 0 | 0 | -4.6219 | 0 | 0 | 0 | 0 | 0 | 0
52 | RT | Incomplete or Inaccurate Transmission | PG&E | Fresno | 2017-10-21 | 36- 40 | No | INC | 24 | 0:00 | 24:00 | 14.8454 | 0 | 0 | -138.8452 | 0 | 0 | 0 | 0 | 0 | 0
53 | RT | Incomplete or Inaccurate Transmission | PG&E | Fresno | 2017-10-22 | 5 | No | DEC | 24 | 0:00 | 24:00 | 0.015812 | 0 | 0 | -0.26884 | 0 | 0 | 0 | 0 | 0 | 0
54 | RT | Incomplete or Inaccurate Transmission | PG&E | Fresno | 2017-10-22 | 35- 40 | No | INC | 24 | 0:00 | 24:00 | 9.6492 | 0 | 0 | -121.016 | 0 | 0 | 0 | 0 | 0 | 0
55 | RT | Incomplete or Inaccurate Transmission | PG&E | Fresno | 2017-10-23 | 5- 22 | No | DEC | 24 | 0:00 | 24:00 | 0.1229 | 0 | 0 | -3.0009 | 0 | 0 | 0 | 0 | -0.62106 | 0
56 | RT | Incomplete or Inaccurate Transmission | PG&E | Fresno | 2017-10-23 | 18- 40 | No | INC | 24 | 0:00 | 24:00 | 6.6952 | 0 | 0 | -231.3322 | 0 | 0 | 0 | 0 | 0 | 0
57 | RT | Incomplete or Inaccurate Transmission | PG&E | Fresno | 2017-10-24 | 9- 22 | No | DEC | 24 | 0:00 | 24:00 | 0.10507 | 0 | 0 | -7.7286 | 0 | 0 | 0 | 0 | -2.0714 | 0
58 | RT | Incomplete or Inaccurate Transmission | PG&E | Fresno | 2017-10-24 | 18- 40 | No | INC | 24 | 0:00 | 24:00 | 7.0762 | 0 | 0 | -791.9886 | 0 | 0 | 0 | 0 | 0 | 0
59 | RT | Incomplete or Inaccurate Transmission | PG&E | Fresno | 2017-10-25 | 5- 22 | No | DEC | 24 | 0:00 | 24:00 | 0.020823 | 0 | 0 | -1.0116 | 0 | 0 | 0 | 0 | -1.0381 | 0
60 | RT | Incomplete or Inaccurate Transmission | PG&E | Fresno | 2017-10-25 | 18- 40 | No | INC | 24 | 0:00 | 24:00 | 3.9914 | 0 | 0 | -153.1134 | 0 | 0 | 0 | 0 | 0 | 0
61 | RT | Incomplete or Inaccurate Transmission | PG&E | Fresno | 2017-10-26 | 5- 22 | No | DEC | 24 | 0:00 | 24:00 | 0.027034 | 0 | 0 | -5.0349 | 0 | 0 | 0 | 0 | -1.622 | 0
62 | RT | Incomplete or Inaccurate Transmission | PG&E | Fresno | 2017-10-26 | 18- 40 | No | INC | 24 | 0:00 | 24:00 | 4.076 | 0 | 0 | -175.4621 | 0 | 0 | 0 | 0 | 0 | 0
63 | RT | Incomplete or Inaccurate Transmission | PG&E | Fresno | 2017-10-27 | 4- 17 | No | DEC | 24 | 0:00 | 24:00 | 0.016643 | 0 | 0 | -0.21323 | 0 | 0 | 0 | 0 | -2.81 | 0
64 | RT | Incomplete or Inaccurate Transmission | PG&E | Fresno | 2017-10-27 | 23- 40 | No | INC | 24 | 0:00 | 24:00 | 1.5342 | 0 | 0 | -27.8431 | 0 | 0 | 0 | 0 | 0 | 0
65 | RT | Incomplete or Inaccurate Transmission | PG&E | Fresno | 2017-10-28 | 5- 9 | No | DEC | 24 | 0:00 | 24:00 | 0.022762 | 0 | 0 | -0.37486 | 0 | 0 | 0 | 0 | -1.4573 | 0
66 | RT | Incomplete or Inaccurate Transmission | PG&E | Fresno | 2017-10-28 | 31- 40 | No | INC | 24 | 0:00 | 24:00 | 2.9874 | 0 | 0 | -51.5331 | 0 | 0 | 0 | 0 | 0 | 0
67 | RT | Incomplete or Inaccurate Transmission | PG&E | Fresno | 2017-10-29 | 9- 14 | No | DEC | 24 | 0:00 | 24:00 | -6.0092 | 0 | 0 | 166.172 | 0 | 0 | 0 | 0 | 0 | 0
68 | RT | Incomplete or Inaccurate Transmission | PG&E | Fresno | 2017-10-29 | 26- 40 | No | INC | 24 | 0:00 | 24:00 | -39.0096 | 0 | 0 | 1104.2029 | 0 | 0 | 0 | 0 | 0 | 0
69 | RT | Incomplete or Inaccurate Transmission | PG&E | Fresno | 2017-10-30 | 40 | No | INC | 24 | 0:00 | 24:00 | -12.3607 | 0 | 0 | 299.3642 | 0 | 0 | 0 | 0 | 0 | 0
70 | RT | Incomplete or Inaccurate Transmission | PG&E | Fresno | 2017-10-31 | 40 | No | INC | 24 | 0:00 | 24:00 | -37.3649 | 0 | 0 | 1009.0238 | 0 | 0 | 0 | 0 | 0 | 0
71 | RT | Incomplete or Inaccurate Transmission | PG&E | NCNB | 2017-10-04 | 143 | No | DEC | 1 | 7:10 | 7:45 | -14.2551 | 0 | 0 | -75.809 | -10.0992 | 0 | 262.7826 | 0 | -902.135 | 0
72 | RT | Incomplete or Inaccurate Transmission | PG&E | NCNB | 2017-10-11 | 166 | No | INC | 14 | 10:58 | 24:00 | 12.5246 | 0 | 0 | 266.9705 | 0 | 0 | 0 | 0 | 0 | 0
73 | RT | Incomplete or Inaccurate Transmission | PG&E | NCNB | 2017-10-11 | 188- 220 | No | DEC | 14 | 10:58 | 24:00 | -42.5787 | 0 | 0 | -1186.5455 | -77.3125 | 0 | -1029.7311 | 0 | -99087.0539 | 0
74 | RT | Incomplete or Inaccurate Transmission | SCE | LA Basin | 2017-10-23 | 130 | No | DEC | 2 | 10:21 | 12:00 | -6.7189 | -0.00033203 | 0 | 164.1909 | 0 | 0 | 0 | 0 | 0 | 0
75 | RT | Incomplete or Inaccurate Transmission | SCE | LA Basin | 2017-10-23 | 130 | No | INC | 2 | 10:21 | 12:00 | -41.8008 | 2490.2357 | 0 | -4185.7856 | 0.00225 | -0.053815 | 0 | 0 | -0.32988 | 0
76 | RT | Incomplete or Inaccurate Transmission | SDG&E | San Diego-IV | 2017-10-23 | 48 | No | INC | 1 | 10:21 | 11:00 | 18.25 | 777.7525 | 68.7425 | -2578.9721 | 0 | 0 | 0 | 0 | 0 | 0
77 | RT | Load Forecast Uncertainty | Intertie | N/A | 2017-10-23 | 44- 385 | No | INC | 2 | 17:00 | 19:00 | 121 | 0 | 0 | -47930.8802 | 127.5 | -46167.2176 | 0 | -72951.9533 | 0 | 0
78 | RT | Load Forecast Uncertainty | Intertie | N/A | 2017-10-24 | 126- 341 | No | INC | 6 | 15:00 | 21:00 | 399.3333 | 0 | 0 | -17863.5008 | 601.5 | -126689.074 | 0 | -232626.722 | 0 | 0
79 | RT | Load Forecast Uncertainty | Intertie | N/A | 2017-10-25 | 91- 216 | No | INC | 3 | 16:00 | 19:00 | 183.75 | 0 | 0 | -6435.0928 | 130.4167 | -1527.0161 | 0 | -55305.9899 | 0 | 0
80 | RT | Load Forecast Uncertainty | PG&E | Bay Area | 2017-10-23 | 120 | No | INC | 1 | 10:35 | 11:01 | 80.7413 | 2229 | 0 | -2579.1101 | 0 | 0 | 0 | 0 | 0 | 0
81 | RT | Load Forecast Uncertainty | PG&E | Bay Area | 2017-10-24 | 20- 232 | No | DEC | 8 | 14:18 | 22:00 | 281.7771 | -20291.8212 | 0 | -132605.0533 | 0 | 0 | 0 | 0 | 0 | 0
82 | RT | Load Forecast Uncertainty | PG&E | Bay Area | 2017-10-25 | 98 | No | INC | 2 | 12:00 | 14:00 | 62.7459 | -3.906e-05 | 0 | -1851.9501 | 8.7471 | -250.6489 | 0 | -122.9347 | 0 | 0
83 | RT | Load Forecast Uncertainty | PG&E | Bay Area | 2017-10-25 | 138- 188 | No | DEC | 9 | 12:00 | 21:00 | 196.6627 | -0.0019336 | 0 | -17490.4372 | 0 | 0 | 0 | 0 | 0 | 0
84 | RT | Load Forecast Uncertainty | PG&E | N/A | 2017-10-23 | 47 | No | DEC | 4 | 16:20 | 20:00 | 20.6071 | -43341.7756 | 0 | -1678.3551 | 0 | 0 | 0 | 0 | 0 | 0
85 | RT | Load Forecast Uncertainty | PG&E | N/A | 2017-10-24 | 380 | No | DEC | 8 | 14:29 | 22:00 | 274.6254 | -3097.5964 | 0 | -13032.214 | 0 | 0 | 0 | 0 | 0 | 0
86 | RT | Load Forecast Uncertainty | PG&E | N/A | 2017-10-25 | 182 | No | DEC | 5 | 15:05 | 20:00 | 100.5468 | 0 | 0 | -10333.7395 | 0 | 0 | 0 | 0 | 0 | 0
87 | RT | Load Forecast Uncertainty | PG&E | N/A | 2017-10-26 | 47 | No | DEC | 14 | 6:15 | 20:00 | -72.7227 | -47497.9169 | 919.9933 | 4451.1956 | 0 | 0 | 0 | 0 | 0 | 0
88 | RT | Load Forecast Uncertainty | PG&E | N/A | 2017-10-26 | 47 | No | INC | 14 | 6:15 | 20:00 | -74.1504 | 9279.6797 | 0 | 1551.6669 | 0 | 0 | 0 | 0 | 0 | 0
89 | RT | Load Forecast Uncertainty | SCE | Big Creek-Ventura | 2017-10-24 | 11 | No | INC | 2 | 17:31 | 19:30 | 132.8596 | 0 | 0 | -118320.7962 | 4.633 | -4418.4871 | 0 | 0 | 0 | 0
90 | RT | Load Forecast Uncertainty | SCE | Big Creek-Ventura | 2017-10-25 | 100 | No | INC | 24 | 0:00 | 24:00 | 240.1427 | 961399.9077 | 0 | -37370.3304 | 233.3765 | -22096.5769 | 0 | 0 | 0 | 0
91 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2017-10-16 | 20 | No | INC | 16 | 8:00 | 24:00 | -487.5109 | 40297.449 | 0 | 31601.0619 | 0 | 0 | 0 | 0 | 0 | 0
92 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2017-10-17 | 20- 70 | Yes | INC | 22 | 0:00 | 22:00 | -1131.4038 | 132372.9722 | 36382.4609 | 55500.8586 | 0 | 0 | 0 | 0 | 0 | 0
93 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2017-10-18 | 20- 45 | Yes | INC | 17 | 7:00 | 24:00 | -437.8884 | 80650.7868 | 0 | 25074.1605 | 0 | 0 | 0 | 0 | 0 | 0
94 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2017-10-20 | 10 | No | INC | 11 | 13:00 | 24:00 | -199.647 | 16328.9495 | 0 | 12156.5738 | 0 | 0 | 0 | 0 | 0 | 0
95 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2017-10-21 | 20 | Yes | INC | 24 | 0:00 | 24:00 | -418.9853 | 69373.7549 | 0 | 28786.4815 | 0 | 0 | 0 | 0 | 0 | 0
96 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2017-10-22 | 20 | Yes | INC | 24 | 0:00 | 24:00 | -679.3155 | 90907.4595 | 0 | 22414.5898 | 0 | 0 | 0 | 0 | 0 | 0
97 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2017-10-23 | 10- 336 | No | INC | 14 | 10:35 | 24:00 | 90.1507 | 50949.5789 | 638.4593 | 32224.7605 | 19.2182 | -1988.323 | 0 | 0 | 0 | 0
98 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2017-10-23 | 49 | No | DEC | 6 | 14:15 | 20:00 | -15.9074 | 0 | 0 | 2221.5333 | 0.24 | -10.472 | 0 | -10.1632 | 0 | 0
99 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2017-10-24 | 10- 70 | No | INC | 24 | 0:00 | 24:00 | 309.5664 | 198635.4889 | 0 | -91333.185 | 85.3704 | -10535.3068 | 0 | 0 | 0 | 0
100 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2017-10-25 | 71 | No | DEC | 1 | 13:15 | 13:45 | 30.3478 | 0 | 0 | -1547.4637 | 22.2845 | -887.942 | 0 | -104.6742 | 0 | 0
101 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2017-10-25 | 71 | No | INC | 1 | 13:30 | 13:45 | 22.762 | 71283.6206 | 0 | -1276.7494 | 15.4625 | -613.826 | 0 | -183.1516 | 0 | 0
102 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2017-10-26 | 240- 265 | Yes | INC | 24 | 0:00 | 24:00 | -1901.3844 | 551347.1854 | 0 | 92610.1534 | 0 | 0 | 0 | 0 | 0 | 0
103 | RT | Load Forecast Uncertainty | SDG&E | San Diego-IV | 2017-10-23 | 40 | No | DEC | 2 | 14:40 | 15:45 | 29.3333 | 2.4414e-05 | 0 | -1899.7439 | 0 | 0 | 0 | 0 | 0 | 0
104 | RT | Load Forecast Uncertainty | SDG&E | San Diego-IV | 2017-10-25 | 76 | No | DEC | 5 | 15:35 | 20:00 | -8.6606 | 0 | 0 | -188.7923 | 0 | 0 | 0 | 0 | 0 | 0
105 | RT | Load Forecast Uncertainty | SDG&E | San Diego-IV | 2017-10-25 | 76 | No | INC | 5 | 15:35 | 20:00 | 36.0769 | 20218.3409 | 0 | -3075.0243 | 0.235 | -18.4758 | 0 | -22.124 | -9.8515 | 0
106 | RT | Load Pull | PG&E | Bay Area | 2017-10-02 | 300 | No | DEC | 5 | 16:20 | 21:00 | -2.5217 | 0 | 0 | -3437.2326 | 0 | 0 | 0 | 0 | 0 | 0
107 | RT | Load Pull | PG&E | Bay Area | 2017-10-02 | 300 | No | INC | 5 | 16:20 | 21:00 | 23.7642 | 0 | 0 | -1522.6059 | 0 | 0 | 0 | 0 | 0 | 0
108 | RT | Load Pull | SCE | Big Creek-Ventura | 2017-10-23 | 200 | No | INC | 3 | 17:40 | 20:00 | 105.4392 | 30535.9125 | 0 | -43639.0002 | 0 | 0 | 0 | 0 | 0 | 0
109 | RT | Load Pull | SCE | Big Creek-Ventura | 2017-10-24 | 400 | No | DEC | 3 | 14:05 | 17:00 | 0.3925 | -0.00078125 | 0 | 213.2085 | 0 | 0 | 0 | 0 | 0 | 0
110 | RT | Load Pull | SCE | Big Creek-Ventura | 2017-10-24 | 400- 700 | No | INC | 6 | 14:05 | 20:00 | 791.6339 | -10185.1878 | 0 | -441438.6215 | 169.4917 | -11381.5203 | 0 | 0 | 0 | 0
111 | RT | Load Pull | SCE | Big Creek-Ventura | 2017-10-25 | 400- 700 | No | INC | 8 | 13:50 | 21:00 | 251.0886 | 558893.9843 | 0 | -51322.141 | 283.4197 | -32899.5889 | 0 | 0 | 0 | 0
112 | RT | Load Pull | SCE | LA Basin | 2017-10-23 | 40- 222 | No | INC | 5 | 15:20 | 20:00 | -99.0073 | 17014.5045 | 0 | 43070.3615 | 58.3317 | -5778.0018 | 0 | 0 | 0 | 0
113 | RT | Load Pull | SCE | LA Basin | 2017-10-23 | 624- 806 | No | DEC | 5 | 15:20 | 20:00 | -373.7211 | -0.000166 | 0 | 108182.8383 | 7.3946 | -731.6243 | 0 | 0 | 0 | 0
114 | RT | Load Pull | SCE | LA Basin | 2017-10-24 | 142- 526 | No | INC | 11 | 11:15 | 22:00 | -219.7445 | -15882.2925 | 0 | 27721.3878 | 56.8046 | -10931.8139 | 0 | 0 | 0 | 0
115 | RT | Load Pull | SCE | LA Basin | 2017-10-24 | 336- 526 | No | DEC | 11 | 11:15 | 22:00 | -350.5882 | 0 | 0 | 198163.927 | 1.7529 | -222.971 | 0 | 0 | 0 | 0
116 | RT | Load Pull | SCE | LA Basin | 2017-10-25 | 71- 526 | No | DEC | 8 | 13:15 | 21:00 | -313.8179 | 0 | 0 | 25892.0467 | 7.5558 | -309.2911 | 0 | -29.3668 | 0 | 0
117 | RT | Load Pull | SCE | LA Basin | 2017-10-25 | 194- 455 | No | INC | 8 | 13:15 | 21:00 | 13.6243 | 0 | 0 | 873.6384 | 11.5008 | -604.5527 | 0 | -67.0357 | 0 | 0
118 | RT | Load Pull | SCE | LA Basin | 2017-10-31 | 194 | No | DEC | 5 | 16:30 | 21:00 | -231.5311 | 0 | 0 | 6771.0236 | 0 | 0 | 0 | 0 | 0 | 0
119 | RT | Load Pull | SCE | LA Basin | 2017-10-31 | 194 | No | INC | 5 | 16:30 | 21:00 | -10.9593 | 0 | 0 | 450.3581 | 0.073214 | -2.7448 | 0 | 0 | 0 | 0
120 | RT | Load Pull | SCE | N/A | 2017-10-24 | 460 | No | DEC | 3 | 17:55 | 20:20 | -9.0081 | -5390.8796 | 0 | 10.7182 | -8.7558 | 0 | 401.625 | 0 | 0 | 0
121 | RT | Load Pull | SDG&E | San Diego-IV | 2017-10-23 | 23- 48 | No | INC | 4 | 16:25 | 20:00 | 40.0858 | 12312.3692 | 0 | -3693.9092 | 0 | 0 | 0 | 0 | 0 | 0
122 | RT | Load Pull | SDG&E | San Diego-IV | 2017-10-25 | 68 | No | INC | 8 | 13:15 | 21:00 | 2.5425 | 1139.0753 | 0 | 16.8991 | 0 | 0 | 0 | 0 | 0 | 0
123 | RT | Load Pull | SDG&E | San Diego-IV | 2017-10-25 | 68- 131 | No | DEC | 8 | 13:15 | 21:00 | -160.2549 | 0.00029296 | 0 | 9246.8431 | 0 | 0 | 0 | 0 | 0 | 0
124 | RT | Load Pull | SCE | N/A | 2017-10-24 | 460 | No | DEC | 2 | 19:15 | 20:45 | -0.72405 | -4892.1182 | 0 | 27.1442 | 0 | 0 | 0 | 0 | 0 | 0
125 | RT | Operating Procedure Number and Constraint (6610) | SCE | Big Creek-Ventura | 2017-10-24 | 425 | No | INC | 1 | 20:00 | 20:15 | -70.2021 | 0 | 0 | 3499.8344 | -45.8333 | 0 | 3692.475 | 0 | 0 | 0
126 | RT | Operating Procedure Number and Constraint (6610) | SCE | Big Creek-Ventura | 2017-10-24 | 425 | No | DEC | 1 | 19:40 | 20:10 | 27.8568 | 0 | 0 | 186.1731 | 0 | 0 | 0 | 0 | 0 | 0
127 | RT | Operating Procedure Number and Constraint (6610) | SCE | Big Creek-Ventura | 2017-10-24 | 425 | No | INC | 1 | 19:40 | 20:10 | -45.8333 | 0 | 0 | 3692.475 | -45.8333 | 0 | 3692.475 | 0 | 0 | 0
128 | RT | Operating Procedure Number and Constraint (6610) | SCE | LA Basin | 2017-10-24 | 360 | No | INC | 2 | 19:20 | 20:45 | 164.1775 | 5867.8333 | 295.7468 | -43205.7654 | 13.574 | -2239.5648 | 0 | -120.9829 | 0 | 0
129 | RT | Operating Procedure Number and Constraint (7110) | PG&E | Humboldt | 2017-10-24 | 46 | No | DEC | 13 | 9:05 | 21:45 | 6.4542 | -2.9292e-05 | 0 | -173.5316 | 0 | 0 | 0 | 0 | 0 | 0
130 | RT | Operating Procedure Number and Constraint (7110) | PG&E | Humboldt | 2017-10-24 | 46 | No | INC | 13 | 9:05 | 21:45 | 18.5877 | -1222.6167 | 0 | -445.4491 | 6.5376 | -132.8649 | 0 | 0 | 0 | 0
131 | RT | Operating Procedure Number and Constraint (7110) | PG&E | Humboldt | 2017-10-27 | 60 | No | INC | 1 | 23:00 | 24:00 | 24.7764 | -537.42 | 0 | -669.6916 | 1 | -26.9662 | 0 | 0 | 0 | 0
132 | RT | Operating Procedure Number and Constraint (7110) | PG&E | Humboldt | 2017-10-28 | 15 | No | DEC | 22 | 1:00 | 23:00 | 2.0046 | 0 | 0 | -46.8264 | 0 | 0 | 0 | 0 | 0 | 0
133 | RT | Operating Procedure Number and Constraint (7110) | PG&E | Humboldt | 2017-10-28 | 15- 60 | No | INC | 23 | 0:00 | 23:00 | -25.3732 | -175.83 | 0 | 983.8592 | 0.58333 | -16.8585 | 0 | 0 | 0 | 0
134 | RT | Operating Procedure Number and Constraint (7230) | PG&E | Sierra | 2017-10-08 | 42 | Yes | INC | 19 | 5:00 | 24:00 | -7.7306 | 43565.0981 | 1484.5601 | 170.5925 | 0 | 0 | 0 | 0 | 0 | 0
135 | RT | Operating Procedure Number and Constraint (7230) | PG&E | Sierra | 2017-10-17 | 0 | No | DEC | 1 | 18:30 | 19:30 | 0 | -1506.46 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
136 | RT | Operating Procedure Number and Constraint (7230) | PG&E | Sierra | 2017-10-18 | 0 | No | DEC | 6 | 16:50 | 22:00 | -0.13333 | 0 | 0 | 4.8195 | 0 | 0 | 0 | 0 | 0 | 0
137 | RT | Operating Procedure Number and Constraint (7230) | PG&E | Sierra | 2017-10-18 | 0 | No | INC | 6 | 16:50 | 22:00 | -1.8 | 0 | 0 | 840.8407 | 0 | 0 | 0 | 0 | 0 | 0
138 | RT | Operating Procedure Number and Constraint (7230) | PG&E | Sierra | 2017-10-19 | 0 | No | INC | 1 | 18:30 | 19:30 | -11.9 | 0 | 0 | 307.3323 | -5 | 0 | 0 | 0 | 0 | 0
139 | RT | Operating Procedure Number and Constraint (7230) | PG&E | Sierra | 2017-10-23 | 0 | No | DEC | 9 | 15:45 | 24:00 | -0.066667 | 0 | 0 | 4.6061 | 0 | 0 | 0 | 0 | 0 | 0
140 | RT | Operating Procedure Number and Constraint (7230) | PG&E | Sierra | 2017-10-23 | 0 | No | INC | 9 | 15:45 | 24:00 | -1.7333 | 0 | 0 | 65.0475 | 0 | 0 | 0 | 0 | 0 | 0
141 | RT | Operating Procedure Number and Constraint (7230) | PG&E | Sierra | 2017-10-25 | 0 | No | DEC | 3 | 17:00 | 20:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
142 | RT | Operating Procedure Number and Constraint (7720) | SCE | N/A | 2017-10-15 | 470 | No | DEC | 6 | 16:00 | 22:00 | -4.9669 | -10657.9988 | 0 | 167.548 | -1.3617 | 0 | 44.8094 | 0 | 0 | 0
143 | RT | Operating Procedure Number and Constraint (7720) | SCE | N/A | 2017-10-16 | 470 | No | DEC | 11 | 13:40 | 24:00 | 137.8099 | -52397.2773 | 0 | -1432.0951 | -1.25 | 0 | 41.319 | 0 | 0 | 0
144 | RT | Operating Procedure Number and Constraint (7720) | SCE | N/A | 2017-10-16 | 470 | No | INC | 11 | 13:40 | 24:00 | -3.9551 | 1515.6266 | 0 | 64.4974 | 0 | 0 | 0 | 0 | 0 | 0
145 | RT | Operating Procedure Number and Constraint (7720) | SCE | N/A | 2017-10-17 | 470 | No | DEC | 15 | 9:35 | 24:00 | 21.9121 | -13309.3128 | 0 | -1048.0632 | 0 | 0 | 0 | 0 | 0 | 0
146 | RT | Operating Procedure Number and Constraint (7720) | SCE | N/A | 2017-10-17 | 470 | No | INC | 15 | 9:35 | 24:00 | 38.2756 | 32240.4783 | 0 | -475.4017 | 0 | 0 | 0 | 0 | 0 | 0
147 | RT | Operating Procedure Number and Constraint (7720) | SCE | N/A | 2017-10-18 | 470 | No | DEC | 13 | 7:40 | 20:00 | -38.0201 | -0.00046876 | 0 | 1177.313 | 0 | 0 | 0 | 0 | 0 | 0
148 | RT | Operating Procedure Number and Constraint (7720) | SCE | N/A | 2017-10-18 | 470 | No | INC | 13 | 7:40 | 20:00 | 107.085 | 4347.0805 | 0 | -465.5593 | 0 | 0 | 0 | 0 | 0 | 0
149 | RT | Operating Procedure Number and Constraint (7720) | SCE | N/A | 2017-10-23 | 460- 470 | No | DEC | 8 | 14:45 | 22:00 | 59.3672 | -12863.4432 | 0 | -9937.6793 | 0 | 0 | 0 | 0 | 0 | 0
150 | RT | Operating Procedure Number and Constraint (7720) | SCE | N/A | 2017-10-23 | 460- 470 | No | INC | 8 | 14:45 | 22:00 | 6.8931 | 6100.5334 | 0 | -680.2289 | -2.7083 | 0 | 90.1333 | 0 | 0 | 0
151 | RT | Operating Procedure Number and Constraint (7720) | SCE | N/A | 2017-10-24 | 460- 470 | No | DEC | 9 | 15:20 | 24:00 | 12.7102 | -14334.6039 | 0 | 7788.1658 | -5.9597 | 0 | 272.7262 | 0 | 0 | 0
152 | RT | Operating Procedure Number and Constraint (7720) | SCE | N/A | 2017-10-24 | 460- 470 | No | INC | 9 | 15:20 | 24:00 | 37.2295 | 734.3617 | 0 | -1057.2127 | 0 | 0 | 0 | 0 | 0 | 0
153 | RT | Operating Procedure Number and Constraint (7720) | SCE | N/A | 2017-10-25 | 465 | No | DEC | 11 | 13:10 | 24:00 | 10.8585 | -18784.3651 | 0 | -422.0149 | -0.29 | 0 | 11.2607 | 0 | 0 | 0
154 | RT | Operating Procedure Number and Constraint (7720) | SCE | N/A | 2017-10-25 | 465 | No | INC | 11 | 13:10 | 24:00 | 14.9977 | 4196.9136 | 0 | -506.51 | 0 | 0 | 0 | 0 | 0 | 0
155 | RT | Operating Procedure Number and Constraint (7720) | SCE | N/A | 2017-10-26 | 465- 485 | No | INC | 22 | 0:00 | 22:00 | 31.3621 | -24323.3608 | 0 | -1014.5114 | 0 | 0 | 0 | 0 | 0 | 0
156 | RT | Operating Procedure Number and Constraint (7720) | SCE | N/A | 2017-10-28 | 460 | No | INC | 3 | 18:35 | 21:00 | -20.1518 | 0 | 0 | 732.6507 | 0 | 0 | 0 | 0 | 0 | 0
157 | RT | Other Reliability Requirement | Intertie | N/A | 2017-10-24 | 61 | No | INC | 1 | 16:00 | 17:00 | 10 | 0 | 0 | -243.0539 | 26 | -499.8656 | 0 | -2256.9461 | 0 | 0
158 | RT | Other Reliability Requirement | Intertie | N/A | 2017-10-25 | 600- 750 | No | INC | 10 | 11:30 | 21:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
159 | RT | Other Reliability Requirement | PG&E | Bay Area | 2017-10-23 | 120 | No | INC | 1 | 10:11 | 11:01 | 136.1913 | 2229 | 0 | -3949.7302 | 0 | 0 | 0 | 0 | 0 | 0
160 | RT | Other Reliability Requirement | PG&E | Fresno | 2017-10-12 | 0 | No | INC | 3 | 13:50 | 16:50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
161 | RT | Other Reliability Requirement | PG&E | Sierra | 2017-10-24 | 100 | No | INC | 5 | 17:30 | 22:00 | 3.9583 | 0 | 0 | -212.2728 | 0 | 0 | 0 | 0 | 0 | 0
162 | RT | Other Reliability Requirement | PG&E | Sierra | 2017-10-24 | 166- 266 | No | DEC | 5 | 17:30 | 22:10 | -89.8602 | 0 | 0 | 1187.6048 | -85.1817 | 0 | 1076.161 | 0 | 0 | 0
163 | RT | Other Reliability Requirement | SCE | LA Basin | 2017-10-23 | 326- 332 | No | INC | 1 | 10:11 | 11:01 | 191.8191 | 8847 | 638.4593 | -6361.6196 | 0.39451 | -8.7341 | 0 | -23.1762 | 0 | 0
164 | RT | Other Reliability Requirement | SDG&E | San Diego-IV | 2017-10-23 | 0 | No | INC | 2 | 14:00 | 15:38 | 1.9587 | 0 | 0 | -52.9207 | 0 | 0 | 0 | 0 | 0 | 0
165 | RT | Over Generation | SDG&E | San Diego-IV | 2017-10-23 | 593 | No | DEC | 1 | 10:20 | 10:30 | -8.0586 | -3.9062e-05 | 0 | 1161.7127 | -3.0965 | 0 | 123.8604 | 0 | 0 | 0
166 | RT | Planned Transmission Outage and Constraint | Intertie | N/A | 2017-10-19 | 200- 400 | No | DEC | 8 | 12:30 | 20:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
167 | RT | Planned Transmission Outage and Constraint | Intertie | N/A | 2017-10-20 | 400 | No | INC | 1 | 12:15 | 13:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
168 | RT | Planned Transmission Outage and Constraint | Intertie | N/A | 2017-10-20 | 400 | No | INC | 3 | 13:00 | 16:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
169 | RT | Planned Transmission Outage and Constraint | Intertie | N/A | 2017-10-25 | 600 | No | INC | 5 | 11:10 | 16:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
170 | RT | Planned Transmission Outage and Constraint | Intertie | N/A | 2017-10-25 | 600- 750 | No | DEC | 7 | 11:10 | 18:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
171 | RT | Planned Transmission Outage and Constraint | Intertie | N/A | 2017-10-26 | 800 | No | INC | 3 | 12:05 | 15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
172 | RT | Planned Transmission Outage and Constraint | PG&E | Fresno | 2017-10-20 | 3 | No | INC | 8 | 16:50 | 24:00 | -0.016667 | 0 | 0 | 5.2498 | 0 | 0 | 0 | 0 | 0 | 0
173 | RT | Planned Transmission Outage and Constraint | PG&E | Fresno | 2017-10-21 | 3 | No | DEC | 24 | 0:00 | 24:00 | 0.0095644 | 0 | 0 | -0.18839 | 0 | 0 | 0 | 0 | 0 | 0
174 | RT | Planned Transmission Outage and Constraint | PG&E | Fresno | 2017-10-22 | 3 | No | INC | 6 | 0:00 | 6:00 | -0.013958 | 0 | 0 | 0.33572 | 0 | 0 | 0 | 0 | 0 | 0
175 | RT | Planned Transmission Outage and Constraint | PG&E | Humboldt | 2017-10-01 | 15- 57 | No | DEC | 23 | 0:00 | 22:30 | 1.137 | 0 | 0 | -46.7491 | 0 | 0 | 0 | 0 | 0 | 0
176 | RT | Planned Transmission Outage and Constraint | PG&E | Humboldt | 2017-10-01 | 15- 126 | No | INC | 24 | 0:00 | 24:00 | 37.7299 | 0.02002 | 0 | -954.0255 | 18.0158 | -446.9797 | 0 | 0 | -122.2142 | 0
177 | RT | Planned Transmission Outage and Constraint | PG&E | Humboldt | 2017-10-02 | 16- 77 | No | INC | 24 | 0:00 | 24:00 | 64.7199 | -9852.6401 | 0 | -2136.5287 | 24.0502 | -757.357 | 0 | 0 | -0.78574 | 0
178 | RT | Planned Transmission Outage and Constraint | PG&E | Humboldt | 2017-10-02 | 62- 155 | No | DEC | 18 | 6:35 | 24:00 | 6.4423 | 0 | 0 | -200.1858 | 0 | 0 | 0 | 0 | 0 | 0
179 | RT | Planned Transmission Outage and Constraint | PG&E | Humboldt | 2017-10-03 | 30- 60 | No | DEC | 24 | 0:15 | 24:00 | 9.1804 | -0.00021485 | 0 | -215.1247 | 0 | 0 | 0 | 0 | 0 | 0
180 | RT | Planned Transmission Outage and Constraint | PG&E | Humboldt | 2017-10-03 | 30- 77 | No | INC | 24 | 0:00 | 24:00 | 76.8884 | -14266.9667 | 0 | -1621.259 | 13.75 | -258.4494 | 0 | 0 | -26.3009 | 0
181 | RT | Planned Transmission Outage and Constraint | PG&E | Humboldt | 2017-10-04 | 45 | No | DEC | 24 | 0:00 | 24:00 | 8.1898 | 0 | 0 | -215.5779 | 0 | 0 | 0 | 0 | 0 | 0
182 | RT | Planned Transmission Outage and Constraint | PG&E | Humboldt | 2017-10-04 | 45 | No | INC | 24 | 0:00 | 24:00 | 21.2818 | -11966.1302 | 0 | -739.8362 | 9 | -294.8385 | 0 | 0 | 0 | 0
183 | RT | Planned Transmission Outage and Constraint | PG&E | Humboldt | 2017-10-05 | 28- 72 | No | DEC | 18 | 6:30 | 24:00 | 1.2518 | -9963.6403 | 0 | 1095.4603 | 0 | 0 | 0 | 0 | 0 | 0
184 | RT | Planned Transmission Outage and Constraint | PG&E | Humboldt | 2017-10-05 | 28- 72 | No | INC | 24 | 0:00 | 24:00 | 56.0107 | -13344.24 | 0 | -1609.3606 | 8.1702 | -237.136 | 0 | 0 | 0 | 0
185 | RT | Planned Transmission Outage and Constraint | PG&E | Humboldt | 2017-10-06 | 14- 61 | No | DEC | 22 | 2:00 | 24:00 | -5.0376 | -1851.9853 | 0 | 206.7037 | -0.057966 | 0 | 0 | 0 | 0 | 0
186 | RT | Planned Transmission Outage and Constraint | PG&E | Humboldt | 2017-10-06 | 30- 60 | No | INC | 24 | 0:00 | 24:00 | 47.5288 | -6325.0402 | 0 | -1771.7348 | 8.7919 | -417.2478 | 0 | 0 | -3.0288 | 0
187 | RT | Planned Transmission Outage and Constraint | PG&E | Humboldt | 2017-10-07 | 15- 45 | No | DEC | 24 | 0:00 | 24:00 | 2.5688 | -530.2355 | 0 | -47.2549 | -2.6324 | 0 | 90.6882 | 0 | -95.0646 | 0
188 | RT | Planned Transmission Outage and Constraint | PG&E | Humboldt | 2017-10-07 | 15- 60 | No | INC | 24 | 0:00 | 24:00 | 19.7364 | 2356.614 | 0 | -592.1759 | -0.24132 | -192.4747 | 176.5227 | 0 | -58.5143 | 0
189 | RT | Planned Transmission Outage and Constraint | PG&E | Humboldt | 2017-10-08 | 15- 120 | No | DEC | 24 | 0:55 | 24:00 | 11.6494 | -12372.6069 | 0 | 290.1436 | -0.031594 | -0.00213 | 6.9967 | 0 | -2407.1127 | 0
190 | RT | Planned Transmission Outage and Constraint | PG&E | Humboldt | 2017-10-08 | 30- 147 | No | INC | 24 | 0:00 | 24:00 | 75.2655 | -2297.4251 | 0 | -1658.6994 | 11.9374 | -216.2091 | 6.9967 | 0 | -77.7511 | 0
191 | RT | Planned Transmission Outage and Constraint | PG&E | Humboldt | 2017-10-09 | 15- 90 | No | INC | 24 | 0:00 | 24:00 | 118.3893 | -13666.7338 | 0 | -4846.3753 | 64.8888 | -2892.8307 | 0 | 0 | -0.87723 | 0
192 | RT | Planned Transmission Outage and Constraint | PG&E | Humboldt | 2017-10-09 | 30- 75 | No | DEC | 19 | 5:45 | 24:00 | 9.6035 | -8954.0673 | 0 | -466.6366 | 4.5 | -980.6131 | 0 | 0 | 0 | 0
193 | RT | Planned Transmission Outage and Constraint | PG&E | Humboldt | 2017-10-10 | 30- 75 | No | DEC | 24 | 0:30 | 24:00 | 5.8912 | -0.00023193 | 0 | -156.3444 | -1.2308 | -14.3267 | 69.3197 | 0 | -749.3303 | 0
194 | RT | Planned Transmission Outage and Constraint | PG&E | Humboldt | 2017-10-10 | 56- 135 | No | INC | 24 | 0:00 | 24:00 | 89.8126 | -12646.8 | 0 | -2945.7119 | 30.4743 | -931.4827 | 0 | 0 | 0 | 0
195 | RT | Planned Transmission Outage and Constraint | PG&E | Humboldt | 2017-10-11 | 42- 77 | No | INC | 24 | 0:00 | 24:00 | 72.6997 | -14805.2202 | 0 | -2204.6985 | 14.5352 | -454.7559 | 0 | 0 | -3.5446 | 0
196 | RT | Planned Transmission Outage and Constraint | PG&E | Humboldt | 2017-10-11 | 64 | No | DEC | 18 | 6:45 | 24:00 | 13.4057 | 176.2525 | 0 | -420.1549 | 0 | 0 | 0 | 0 | 0 | 0
197 | RT | Planned Transmission Outage and Constraint | PG&E | Humboldt | 2017-10-12 | 32- 64 | No | INC | 24 | 0:00 | 24:00 | 49.8546 | -14232.6001 | 0 | -1885.7023 | 27.1375 | -1268.1029 | 0 | 0 | -0.041992 | 0
198 | RT | Planned Transmission Outage and Constraint | PG&E | Humboldt | 2017-10-12 | 64 | No | DEC | 24 | 0:00 | 24:00 | 4.0457 | 0 | 0 | -124.1726 | 0 | 0 | 0 | 0 | 0 | 0
199 | RT | Planned Transmission Outage and Constraint | PG&E | Humboldt | 2017-10-13 | 32- 64 | No | DEC | 21 | 0:00 | 21:00 | 6.8487 | 0 | 0 | -189.5088 | 0 | 0 | 0 | 0 | 0 | 0
200 | RT | Planned Transmission Outage and Constraint | PG&E | Humboldt | 2017-10-13 | 32- 128 | No | INC | 24 | 0:00 | 24:00 | 72.4963 | -15208.838 | 0 | -3415.7074 | 9.4225 | -387.4029 | 0 | 0 | 0 | 0
201 | RT | Planned Transmission Outage and Constraint | PG&E | Humboldt | 2017-10-14 | 28- 64 | No | DEC | 17 | 7:40 | 24:00 | -0.059013 | -0.00038087 | 0 | 25.1927 | -2.9217 | 0 | 96.3728 | 0 | -61.0206 | 0
202 | RT | Planned Transmission Outage and Constraint | PG&E | Humboldt | 2017-10-14 | 64- 176 | No | INC | 24 | 0:00 | 24:00 | 96.1717 | -32488.1291 | 0 | -5818.7122 | 5.767 | -3305.4735 | 0 | 0 | -0.67359 | 0
203 | RT | Planned Transmission Outage and Constraint | PG&E | Humboldt | 2017-10-15 | 32- 64 | No | DEC | 20 | 4:50 | 24:00 | 4.8355 | 0 | 0 | -122.5679 | 0 | 0 | 0 | 0 | 0 | 0
204 | RT | Planned Transmission Outage and Constraint | PG&E | Humboldt | 2017-10-15 | 32- 238 | No | INC | 24 | 0:00 | 24:00 | 30.1595 | -16148.0251 | 0 | -852.8473 | 25.2362 | -696.0274 | 0 | 0 | -29.5751 | 0
205 | RT | Planned Transmission Outage and Constraint | PG&E | Humboldt | 2017-10-16 | 16- 56 | No | DEC | 24 | 0:00 | 24:00 | 3.3115 | -9075.2488 | 0 | -59.268 | 0.41455 | -25.9166 | 20.2278 | 0 | -21.6049 | 0
206 | RT | Planned Transmission Outage and Constraint | PG&E | Humboldt | 2017-10-16 | 32- 96 | No | INC | 24 | 0:00 | 24:00 | 79.9938 | -9030.9325 | 0 | -2701.6538 | 37.7721 | -1186.5952 | 0 | 0 | -1.3732 | 0
207 | RT | Planned Transmission Outage and Constraint | PG&E | Humboldt | 2017-10-17 | 14- 70 | No | INC | 24 | 0:00 | 24:00 | 84.9789 | -7066.6268 | 0 | -2485.9922 | 0 | 0 | 0 | 0 | 0 | 0
208 | RT | Planned Transmission Outage and Constraint | PG&E | Humboldt | 2017-10-17 | 28- 70 | No | DEC | 24 | 0:00 | 24:00 | 11.7154 | -15689.8983 | 0 | -276.2964 | 0 | 0 | 0 | 0 | 0 | 0
209 | RT | Planned Transmission Outage and Constraint | PG&E | Humboldt | 2017-10-18 | 14- 58 | No | INC | 24 | 0:00 | 24:00 | 57.8672 | -13264.2004 | 0 | -1522.0697 | 4 | -186.4427 | 0 | 0 | 0 | 0
210 | RT | Planned Transmission Outage and Constraint | PG&E | Humboldt | 2017-10-18 | 28- 58 | No | DEC | 24 | 0:00 | 24:00 | 20.6502 | -205.4215 | 0 | -657.457 | 0 | 0 | 0 | 0 | 0 | 0
211 | RT | Planned Transmission Outage and Constraint | PG&E | Humboldt | 2017-10-19 | 28- 70 | No | DEC | 24 | 0:00 | 24:00 | 8.0155 | -2000.5344 | 0 | -247.9421 | 0 | 0 | 0 | 0 | 0 | 0
212 | RT | Planned Transmission Outage and Constraint | PG&E | Humboldt | 2017-10-19 | 28- 70 | No | INC | 24 | 0:00 | 24:00 | 137.2817 | -9663.0858 | 0 | -4400.9406 | 6.3277 | -273.3199 | 0 | 0 | 0 | 0
213 | RT | Planned Transmission Outage and Constraint | PG&E | Humboldt | 2017-10-20 | 14- 56 | No | DEC | 24 | 0:20 | 24:00 | 17.2354 | -1651.5939 | 0 | -246.8417 | 0 | 0 | 0 | 0 | 0 | 0
214 | RT | Planned Transmission Outage and Constraint | PG&E | Humboldt | 2017-10-20 | 28- 56 | No | INC | 24 | 0:00 | 24:00 | 68.399 | -10323.9192 | 0 | -1995.9951 | 0.24437 | -7.2721 | 0 | 0 | 0 | 0
215 | RT | Planned Transmission Outage and Constraint | PG&E | Humboldt | 2017-10-21 | 56 | No | DEC | 18 | 6:05 | 24:00 | 3.6777 | -9.768e-05 | 0 | -153.6184 | 0 | 0 | 0 | 0 | 0 | 0
216 | RT | Planned Transmission Outage and Constraint | PG&E | Humboldt | 2017-10-21 | 56 | No | INC | 24 | 0:00 | 24:00 | 78.2441 | -10993.3169 | 0 | -2790.932 | 0 | 0 | 0 | 0 | 0 | 0
217 | RT | Planned Transmission Outage and Constraint | PG&E | Humboldt | 2017-10-22 | 16- 84 | No | DEC | 17 | 7:45 | 24:00 | 7.4953 | -415.6894 | 0 | -166.0173 | 0 | 0 | 0 | 0 | 0 | 0
218 | RT | Planned Transmission Outage and Constraint | PG&E | Humboldt | 2017-10-22 | 28- 84 | No | INC | 24 | 0:00 | 24:00 | 133.1154 | -14430.3425 | 0 | -2945.651 | 1.3679 | -31.6093 | 0 | 0 | 0 | 0
219 | RT | Planned Transmission Outage and Constraint | PG&E | Humboldt | 2017-10-23 | 16- 48 | No | DEC | 19 | 0:00 | 19:00 | 4.8796 | -0.0005567 | 0 | -47.0642 | 0 | 0 | 0 | 0 | 0 | 0
220 | RT | Planned Transmission Outage and Constraint | PG&E | Humboldt | 2017-10-23 | 16- 48 | No | INC | 19 | 0:00 | 19:00 | 31.3025 | -712.6 | 0 | -774.5234 | 0 | 0 | 0 | 0 | 0 | 0
221 | RT | Planned Transmission Outage and Constraint | PG&E | Humboldt | 2017-10-24 | 30- 60 | No | DEC | 16 | 8:45 | 24:00 | 28.1572 | -757.761 | 0 | -594.5669 | 0 | 0 | 0 | 0 | -9.7535 | 0
222 | RT | Planned Transmission Outage and Constraint | PG&E | Humboldt | 2017-10-24 | 42- 62 | No | INC | 10 | 0:05 | 9:30 | 61.9592 | -5257.2659 | 0 | -2180.7015 | 3.7142 | -171.227 | 0 | 0 | 0 | 0
223 | RT | Planned Transmission Outage and Constraint | PG&E | Humboldt | 2017-10-25 | 28- 90 | No | INC | 24 | 0:00 | 24:00 | 47.3022 | 180.2975 | 0 | -1897.478 | 15.2567 | -853.5746 | 0 | 0 | 0 | 0
224 | RT | Planned Transmission Outage and Constraint | PG&E | Humboldt | 2017-10-25 | 42- 70 | No | DEC | 23 | 1:15 | 24:00 | 16.2777 | 0 | 0 | -375.658 | 0 | 0 | 0 | 0 | 0 | 0
225 | RT | Planned Transmission Outage and Constraint | PG&E | Humboldt | 2017-10-26 | 14- 65 | No | DEC | 24 | 0:45 | 24:00 | 2.0944 | -0.00048664 | 0 | -91.3387 | 0 | 0 | 0 | 0 | 0 | 0
226 | RT | Planned Transmission Outage and Constraint | PG&E | Humboldt | 2017-10-26 | 42- 56 | No | INC | 15 | 0:00 | 15:00 | 46.1582 | -3055.6225 | 0 | -1263.8009 | 0 | 0 | 0 | 0 | 0 | 0
227 | RT | Planned Transmission Outage and Constraint | PG&E | Humboldt | 2017-10-27 | 14- 65 | No | INC | 20 | 0:00 | 20:00 | 67.4339 | -6389.3267 | 523.53 | -2006.5305 | 3.8531 | -112.2718 | 0 | 0 | 0 | 0
228 | RT | Planned Transmission Outage and Constraint | PG&E | Humboldt | 2017-10-27 | 45- 59 | No | DEC | 18 | 2:35 | 20:00 | 43.2725 | -1328.0875 | 0 | -1775.5346 | 0 | 0 | 0 | 0 | -47.5148 | 0
229 | RT | Planned Transmission Outage and Constraint | PG&E | Humboldt | 2017-10-28 | 15- 60 | No | INC | 17 | 7:07 | 24:00 | 34.3776 | -2285.8 | 0 | -1041.0343 | 19.1296 | -540.5699 | 0 | 0 | -0.014953 | 0
230 | RT | Planned Transmission Outage and Constraint | PG&E | Humboldt | 2017-10-28 | 32- 45 | No | DEC | 17 | 7:07 | 24:00 | 14.6583 | -1575.6371 | 0 | -432.4645 | 0 | 0 | 0 | 0 | -10.8673 | 0
231 | RT | Planned Transmission Outage and Constraint | PG&E | Humboldt | 2017-10-29 | 15- 57 | No | DEC | 18 | 6:45 | 24:00 | 2.5721 | -1213.7554 | 0 | -5.4765 | 0 | 0 | 0 | 0 | 0 | 0
232 | RT | Planned Transmission Outage and Constraint | PG&E | Humboldt | 2017-10-29 | 15- 63 | No | INC | 24 | 0:00 | 24:00 | 48.9315 | -8974.215 | 0 | -1411.5603 | 10.0167 | -257.6234 | 0 | 0 | 0 | 0
233 | RT | Planned Transmission Outage and Constraint | PG&E | Humboldt | 2017-10-30 | 14- 79 | No | DEC | 24 | 0:00 | 24:00 | 9.4478 | -0.00025393 | 0 | 1065.9174 | 9 | -338.694 | 0 | 0 | 0 | 0
234 | RT | Planned Transmission Outage and Constraint | PG&E | Humboldt | 2017-10-30 | 14- 124 | No | INC | 24 | 0:00 | 24:00 | 261.1961 | -2801.785 | 0 | -8360.3409 | 37.1749 | -1157.0151 | 0 | 0 | -2.5966 | 0
235 | RT | Planned Transmission Outage and Constraint | PG&E | Humboldt | 2017-10-31 | 14- 80 | No | INC | 24 | 0:00 | 24:00 | 79.6537 | -14489.7167 | 0 | -2734.4308 | 70.5717 | -2145.0667 | 0 | 0 | -0.020088 | 0
236 | RT | Planned Transmission Outage and Constraint | PG&E | Humboldt | 2017-10-31 | 48 | No | DEC | 19 | 5:15 | 24:00 | 2.6779 | -2356.9812 | 0 | -247.3358 | 0 | 0 | 0 | 0 | 0 | 0
237 | RT | Planned Transmission Outage and Constraint | PG&E | Humboldt | 2017-11-01 | 48 | No | INC | 1 | 0:00 | 0:40 | 24.5429 | 0 | 0 | -778.1621 | 4 | -125.8329 | 0 | 0 | 0 | 0
238 | RT | Planned Transmission Outage and Constraint | PG&E | NCNB | 2017-10-04 | 196- 213 | No | DEC | 17 | 7:10 | 24:00 | -19.3584 | 0 | 0 | 1183.697 | -31.2825 | 0 | -461.6889 | 0 | -44273.1977 | 0
239 | RT | Planned Transmission Outage and Constraint | PG&E | NCNB | 2017-10-05 | 205- 213 | No | DEC | 24 | 0:00 | 24:00 | -12.0601 | 0 | 0 | -152.1997 | -10.3333 | 0 | 274.8833 | 0 | -70755.9479 | 0
240 | RT | Planned Transmission Outage and Constraint | PG&E | NCNB | 2017-10-06 | 192- 216 | No | DEC | 19 | 0:00 | 19:00 | -24.4839 | 0 | 0 | 548.4488 | -31.3658 | 0 | 718.2337 | 0 | -65368.7763 | 0
241 | RT | Planned Transmission Outage and Constraint | PG&E | NCNB | 2017-10-14 | 63- 130 | No | INC | 3 | 10:05 | 12:15 | 18.8809 | 0 | 0 | -211.167 | -1.9338 | 0 | 30.9733 | 0 | -154.7333 | 0
242 | RT | Planned Transmission Outage and Constraint | PG&E | NCNB | 2017-10-14 | 126- 260 | No | DEC | 3 | 10:05 | 12:15 | 27.4522 | 0 | 0 | -248.7565 | -16.015 | 0 | 269.1486 | 0 | -5111.0842 | 0
243 | RT | Planned Transmission Outage and Constraint | PG&E | NCNB | 2017-10-18 | 143- 176 | No | DEC | 7 | 14:40 | 21:15 | -37.9003 | 0 | 0 | 1818.7471 | -61.8092 | 0 | 760.2349 | 0 | -65164.9318 | 0
244 | RT | Planned Transmission Outage and Constraint | PG&E | NCNB | 2017-10-21 | 74 | No | INC | 16 | 8:15 | 24:00 | 15.5763 | 0 | 0 | 992.9991 | 0 | 0 | 0 | 0 | 0 | 0
245 | RT | Planned Transmission Outage and Constraint | PG&E | NCNB | 2017-10-21 | 150 | No | DEC | 16 | 8:15 | 24:00 | 4.9147 | 0 | 0 | -41.0022 | -4.5 | 0 | -287.6863 | 0 | -17014.6451 | 0
246 | RT | Planned Transmission Outage and Constraint | PG&E | Sierra | 2017-10-24 | 20 | No | INC | 2 | 8:15 | 10:00 | 21.9 | 996.72 | 0 | -764.4288 | 0 | 0 | 0 | 0 | 0 | 0
247 | RT | Planned Transmission Outage and Constraint | PG&E | Stockton | 2017-10-06 | 40- 70 | No | DEC | 10 | 8:00 | 17:30 | -6.6795 | 0 | 0 | -734.2335 | -9.0243 | 398.8692 | -1369.0107 | 0 | -2301.1162 | 0
248 | RT | Planned Transmission Outage and Constraint | PG&E | Stockton | 2017-10-06 | 50- 70 | No | INC | 10 | 8:00 | 17:30 | 27.9627 | 0 | 0 | 2505.5847 | 18.0778 | 2096.4395 | -173.4392 | 0 | -18784.7184 | 0
249 | RT | Planned Transmission Outage and Constraint | SCE | LA Basin | 2017-10-09 | 40 | No | INC | 20 | 4:00 | 24:00 | -402.4577 | 37633.7988 | 0 | 36464.6795 | 0 | 0 | 0 | 0 | 0 | 0
250 | RT | Planned Transmission Outage and Constraint | SCE | LA Basin | 2017-10-10 | 20- 40 | Yes | INC | 24 | 0:00 | 24:00 | -496.3107 | 53989.0814 | 0 | 14619.855 | 0 | 0 | 0 | 0 | 0 | 0
251 | RT | Planned Transmission Outage and Constraint | SCE | LA Basin | 2017-10-19 | 20 | No | INC | 20 | 0:00 | 20:00 | -229.3898 | 45720.5078 | 0 | 20593.72 | 0 | 0 | 0 | 0 | 0 | 0
252 | RT | Planned Transmission Outage and Constraint | SCE | N/A | 2017-10-09 | 200 | No | INC | 7 | 8:00 | 15:00 | 9.3539 | 59261.3026 | 25066.32 | -230.2487 | 0 | 0 | 0 | 0 | 0 | 0
253 | RT | Planned Transmission Outage and Constraint | SDG&E | San Diego-IV | 2017-10-02 | 20 | Yes | INC | 4 | 17:00 | 21:00 | -8.0929 | 8103.4399 | 0 | -301.8797 | 0 | 0 | 0 | 0 | 0 | 0
254 | RT | Planned Transmission Outage and Constraint | SDG&E | San Diego-IV | 2017-10-03 | 20- 110 | No | INC | 14 | 6:00 | 20:00 | -1.4918 | 32495.9985 | 0 | 2610.0916 | 16.7192 | -386.5138 | 0 | 0 | -6719.7621 | 0
255 | RT | Planned Transmission Outage and Constraint | SDG&E | San Diego-IV | 2017-10-04 | 63 | No | INC | 3 | 17:00 | 20:00 | 12.204 | 12914.66 | 0 | -324.9489 | 0.032292 | -0.97025 | 0 | 0 | -0.38069 | 0
256 | RT | Planned Transmission Outage and Constraint | SDG&E | San Diego-IV | 2017-10-12 | 63 | No | INC | 13 | 8:50 | 21:00 | -356.7213 | 19823.227 | 0 | 14016.0053 | 0 | 0 | 0 | 0 | 0 | 0
257 | RT | Planned Transmission Outage and Constraint | SDG&E | San Diego-IV | 2017-10-12 | 63 | No | INC | 2 | 8:00 | 9:15 | 125.6818 | 1301.89 | 0 | -6974.2425 | 0 | 0 | 0 | 0 | 0 | 0
258 | RT | Planned Transmission Outage and Constraint | SDG&E | San Diego-IV | 2017-10-13 | 63- 243 | No | DEC | 14 | 7:15 | 21:00 | -45.5283 | -11409.2808 | 6871.68 | -2127.6319 | 0 | 0 | 0 | 0 | 0 | 0
259 | RT | Planned Transmission Outage and Constraint | SDG&E | San Diego-IV | 2017-10-13 | 63- 306 | No | INC | 14 | 7:15 | 21:00 | -225.3695 | 18878.0041 | 0 | 5778.6541 | 0 | 0 | 0 | 0 | 0 | 0
260 | RT | Planned Transmission Outage and Constraint | SDG&E | San Diego-IV | 2017-10-15 | 63 | No | DEC | 6 | 15:45 | 21:00 | 364.0669 | -3288.2502 | 0 | -18359.6636 | 0 | 0 | 0 | 0 | 0 | 0
261 | RT | Planned Transmission Outage and Constraint | SDG&E | San Diego-IV | 2017-10-15 | 63 | No | INC | 6 | 15:45 | 21:00 | -5.3521 | -2.442e-06 | 0 | 401.9257 | 0 | 0 | 0 | 0 | 0 | 0
262 | RT | Planned Transmission Outage and Constraint | SDG&E | San Diego-IV | 2017-10-18 | 63 | No | DEC | 15 | 5:20 | 20:00 | -64.3558 | -871.002 | 0 | 2090.9561 | 0 | 0 | 0 | 0 | 0 | 0
263 | RT | Planned Transmission Outage and Constraint | SDG&E | San Diego-IV | 2017-10-18 | 63 | No | INC | 15 | 5:20 | 20:00 | 2.9954 | -20.8401 | 0 | -108.8105 | 0.016667 | -0.91101 | 0 | 0 | -0.16074 | 0
264 | RT | Planned Transmission Outage and Constraint | SDG&E | San Diego-IV | 2017-10-19 | 20 | No | INC | 4 | 16:15 | 20:00 | -48.9337 | 8425.375 | 0 | 492.9364 | 0 | 0 | 0 | 0 | 0 | 0
265 | RT | Planned Transmission Outage and Constraint | SDG&E | San Diego-IV | 2017-10-25 | 39 | No | INC | 5 | 11:26 | 16:00 | 8.8985 | 29112.4395 | 0 | -502.9753 | 0.155 | -8.2029 | 0 | 0 | -36.3099 | 0
266 | RT | Software Limitation | PG&E | Bay Area | 2017-10-06 | 360 | No | DEC | 5 | 16:40 | 21:00 | 63.3641 | -15633.2792 | 0 | -1657.3652 | 1 | -29.6 | 0 | 0 | 0 | 0
267 | RT | Software Limitation | PG&E | Bay Area | 2017-10-24 | 231 | No | DEC | 1 | 22:20 | 23:00 | 11.4167 | -3865.1088 | 0 | -517.6929 | 10.25 | -452.2289 | 0 | 0 | 0 | 0
268 | RT | Software Limitation | PG&E | Fresno | 2017-10-16 | 0 | No | DEC | 3 | 21:00 | 24:00 | -6.4396 | -941.46 | 0 | 72.5115 | -5 | 0 | 0 | 0 | 0 | 0
269 | RT | Software Limitation | PG&E | Fresno | 2017-10-16 | 0 | No | INC | 3 | 21:00 | 24:00 | -0.88917 | 0 | 0 | 35.7421 | 0 | 0 | 0 | 0 | 0 | 0
270 | RT | Software Limitation | PG&E | Humboldt | 2017-10-05 | 16- 32 | No | INC | 3 | 21:45 | 24:00 | -1.0516 | 0 | 0 | 39.1392 | 0 | 0 | 0 | 0 | 0 | 0
271 | RT | Software Limitation | PG&E | Humboldt | 2017-10-06 | 16 | No | DEC | 1 | 2:00 | 2:30 | -2.8333 | -1.0986e-05 | 0 | 99.2017 | -0.057966 | 0 | 0 | 0 | 0 | 0
272 | RT | Software Limitation | PG&E | Humboldt | 2017-10-16 | 32 | No | INC | 1 | 23:30 | 24:00 | -3.8445 | 0 | 0 | 106.5129 | 0 | 0 | 0 | 0 | 0 | 0
273 | RT | Software Limitation | PG&E | Humboldt | 2017-10-17 | 16 | No | INC | 1 | 1:15 | 1:45 | 4.2749 | 0 | 0 | -109.3034 | 0 | 0 | 0 | 0 | 0 | 0
274 | RT | Software Limitation | PG&E | Humboldt | 2017-10-19 | 32- 64 | No | INC | 2 | 22:45 | 24:00 | 8.2762 | -360.115 | 0 | -177.0553 | -0.41667 | 0 | 0 | 0 | 0 | 0
275 | RT | Software Limitation | PG&E | Humboldt | 2017-10-20 | 16 | No | INC | 1 | 0:45 | 1:15 | -3.0745 | 0 | 0 | 80.2309 | 0 | 0 | 0 | 0 | 0 | 0
276 | RT | Software Limitation | PG&E | Humboldt | 2017-10-29 | 33 | No | INC | 1 | 23:00 | 23:30 | 9.2092 | 0 | 0 | -221.7552 | 2 | -47.2378 | 0 | 0 | 0 | 0
277 | RT | Software Limitation | PG&E | Humboldt | 2017-10-29 | 49 | No | DEC | 1 | 21:15 | 22:00 | 3.0377 | 0 | 0 | -76.4009 | 0 | 0 | 0 | 0 | 0 | 0
278 | RT | Software Limitation | SCE | LA Basin | 2017-10-01 | 500 | No | INC | 6 | 0:00 | 5:45 | 111.1766 | 0 | 0 | -3378.2932 | 80.5 | -2237.5733 | 0 | 0 | 0 | 0
279 | RT | Software Limitation | SCE | LA Basin | 2017-10-20 | 0 | No | INC | 2 | 22:10 | 23:15 | -26.565 | 838 | 0 | 0 | -26.565 | 0 | 0 | 0 | 0 | 0
280 | RT | Software Limitation | SCE | LA Basin | 2017-10-24 | 150- 240 | No | DEC | 7 | 15:50 | 22:00 | 124.5168 | -15621.4534 | 0 | -18842.8823 | 0 | 0 | 0 | 0 | 0 | 0
281 | RT | Software Limitation | SCE | LA Basin | 2017-10-24 | 150- 241 | No | INC | 11 | 11:00 | 22:00 | 208.9874 | 85387.9824 | 0 | -77033.5065 | 86.9339 | -10675.0568 | 0 | 0 | 0 | 0
282 | RT | Software Limitation | SDG&E | San Diego-IV | 2017-10-02 | 0 | No | INC | 3 | 21:10 | 24:00 | -20 | 452.885 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | 0
283 | RT | Software Limitation | SDG&E | San Diego-IV | 2017-10-18 | 0 | No | INC | 2 | 20:00 | 22:00 | -7.3797 | 0 | 0 | 42.049 | -8.875 | 0 | 39.7601 | 0 | 0 | 0
284 | RT | Software Limitation | SDG&E | San Diego-IV | 2017-10-23 | 0 | No | INC | 4 | 10:15 | 14:00 | 5.9588 | 0 | 0 | -1251.1595 | 0 | 0 | 0 | 0 | 0 | 0
285 | RT | Software Limitation | SDG&E | San Diego-IV | 2017-10-24 | 100 | Yes | INC | 2 | 14:30 | 16:00 | -46.3454 | 18000 | 0 | 3390.5301 | 0 | 0 | 0 | 0 | 0 | 0
286 | RT | Unit Testing | Intertie | N/A | 2017-10-01 | 100 | No | INC | 24 | 0:00 | 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
287 | RT | Unit Testing | Intertie | N/A | 2017-10-02 | 100 | No | INC | 24 | 0:00 | 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
288 | RT | Unit Testing | Intertie | N/A | 2017-10-03 | 100 | No | INC | 24 | 0:00 | 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
289 | RT | Unit Testing | Intertie | N/A | 2017-10-04 | 100 | No | INC | 24 | 0:00 | 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
290 | RT | Unit Testing | Intertie | N/A | 2017-10-05 | 100 | No | INC | 24 | 0:00 | 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
291 | RT | Unit Testing | Intertie | N/A | 2017-10-06 | 100 | No | INC | 24 | 0:00 | 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
292 | RT | Unit Testing | Intertie | N/A | 2017-10-07 | 100 | No | INC | 24 | 0:00 | 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
293 | RT | Unit Testing | Intertie | N/A | 2017-10-08 | 100 | No | INC | 24 | 0:00 | 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
294 | RT | Unit Testing | Intertie | N/A | 2017-10-09 | 100 | No | INC | 24 | 0:00 | 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
295 | RT | Unit Testing | Intertie | N/A | 2017-10-10 | 100 | No | INC | 24 | 0:00 | 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
296 | RT | Unit Testing | Intertie | N/A | 2017-10-11 | 100 | No | INC | 24 | 0:00 | 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
297 | RT | Unit Testing | Intertie | N/A | 2017-10-12 | 100 | No | INC | 24 | 0:00 | 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
298 | RT | Unit Testing | Intertie | N/A | 2017-10-13 | 100 | No | INC | 24 | 0:00 | 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
299 | RT | Unit Testing | Intertie | N/A | 2017-10-14 | 100 | No | INC | 24 | 0:00 | 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
300 | RT | Unit Testing | Intertie | N/A | 2017-10-15 | 100 | No | INC | 24 | 0:00 | 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
301 | RT | Unit Testing | Intertie | N/A | 2017-10-16 | 100 | No | INC | 24 | 0:00 | 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
302 | RT | Unit Testing | Intertie | N/A | 2017-10-17 | 100 | No | INC | 24 | 0:00 | 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
303 | RT | Unit Testing | Intertie | N/A | 2017-10-18 | 100 | No | INC | 24 | 0:00 | 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
304 | RT | Unit Testing | Intertie | N/A | 2017-10-19 | 100 | No | INC | 24 | 0:00 | 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
305 | RT | Unit Testing | Intertie | N/A | 2017-10-20 | 100 | No | INC | 24 | 0:00 | 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
306 | RT | Unit Testing | Intertie | N/A | 2017-10-21 | 100 | No | INC | 24 | 0:00 | 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
307 | RT | Unit Testing | Intertie | N/A | 2017-10-22 | 100 | No | INC | 24 | 0:00 | 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
308 | RT | Unit Testing | Intertie | N/A | 2017-10-23 | 100 | No | INC | 24 | 0:00 | 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
309 | RT | Unit Testing | Intertie | N/A | 2017-10-24 | 100 | No | INC | 24 | 0:00 | 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
310 | RT | Unit Testing | Intertie | N/A | 2017-10-25 | 100 | No | INC | 24 | 0:00 | 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
311 | RT | Unit Testing | Intertie | N/A | 2017-10-26 | 100 | No | INC | 7 | 0:00 | 7:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
312 | RT | Unit Testing | PG&E | Fresno | 2017-10-26 | 45 | No | INC | 1 | 18:10 | 18:55 | 0.94722 | 0 | 0 | -82.7677 | 1.4167 | -106.8592 | 0 | 0 | 0 | 0
313 | RT | Unit Testing | PG&E | N/A | 2017-10-11 | 84 | No | INC | 1 | 23:12 | 24:00 | 24.1341 | 0 | 0 | -481.193 | 2.2725 | -44.7109 | 0 | 0 | 0 | 0
314 | RT | Unit Testing | PG&E | N/A | 2017-10-12 | 84 | No | INC | 7 | 0:00 | 6:30 | 61.1892 | 0 | 0 | -1550.7968 | 30.0225 | -784.961 | 0 | 0 | 0 | 0
315 | RT | Unit Testing | PG&E | N/A | 2017-10-17 | 44 | No | DEC | 1 | 18:50 | 19:10 | 0.925 | -251.0767 | 24.5086 | -50.8319 | -0.1 | 0 | 4.738 | 0 | 0 | 0
316 | RT | Unit Testing | PG&E | N/A | 2017-10-17 | 44 | No | INC | 1 | 18:50 | 19:10 | 2.0771 | -6.51e-06 | 24.5086 | -128.6434 | 0 | 0 | 0 | 0 | 0 | 0
317 | RT | Unit Testing | PG&E | N/A | 2017-10-18 | 44 | No | INC | 1 | 19:22 | 19:55 | 12.1607 | 0 | 0 | -656.1911 | 12.1607 | -656.1911 | 0 | 0 | 0 | 0
318 | RT | Unit Testing | SCE | LA Basin | 2017-10-12 | 44 | No | INC | 1 | 19:13 | 19:30 | -1.1539 | 0 | 0 | 38.9259 | 0.51963 | -27.6133 | 0 | 0 | 0 | 0
319 | RT | Unit Testing | SCE | LA Basin | 2017-10-18 | 42 | No | INC | 1 | 19:55 | 20:15 | 8.6057 | 2863.9333 | 4.1333 | -536.685 | 8.6057 | -536.685 | 0 | 0 | 0 | 0
320 | RT | Unit Testing | SDG&E | San Diego-IV | 2017-10-11 | 96 | No | INC | 1 | 22:55 | 23:30 | 32.6909 | 686.825 | 0 | -1198.3433 | 21.7219 | -958.4986 | 0 | 0 | 0 | 0
321 | RT | Unplanned Outage | PG&E | NCNB | 2017-10-10 | 177- 341 | No | DEC | 10 | 10:45 | 20:00 | -39.7626 | 0 | 0 | -1832.6862 | -18.7782 | 4100.1111 | -2113.9234 | -2933.6793 | 0 | 0
322 | RT | Voltage Support | PG&E | Sierra | 2017-10-03 | 20- 40 | Yes | INC | 10 | 1:40 | 11:00 | -2.2033 | 20235.0005 | 0 | 202.268 | 0 | 0 | 0 | 0 | 0 | 0
323 | RT | Voltage Support | PG&E | Sierra | 2017-10-04 | 20 | No | DEC | 24 | 0:40 | 24:00 | -0.50064 | 0 | 0 | 12.5601 | 0 | 0 | 0 | 0 | 0 | 0
324 | RT | Voltage Support | PG&E | Sierra | 2017-10-04 | 20- 40 | No | INC | 24 | 0:40 | 24:00 | -31.395 | 23458.2799 | 2600.5001 | 1044.9796 | 0 | 0 | 0 | 0 | 0 | 0
325 | RT | Voltage Support | PG&E | Sierra | 2017-10-05 | 20- 40 | Yes | INC | 12 | 0:00 | 12:00 | 0.4 | 28823.7968 | 0 | -103.7603 | 0 | 0 | 0 | 0 | 0 | 0
326 | RT | Voltage Support | PG&E | Sierra | 2017-10-06 | 20 | No | INC | 12 | 1:35 | 13:00 | 7.9346 | 14637.8695 | 0 | -220.8031 | 0 | 0 | 0 | 0 | 0 | 0
327 | RT | Voltage Support | PG&E | Sierra | 2017-10-07 | 20 | No | INC | 1 | 18:45 | 19:30 | 5 | 0 | 363.33 | -146.2493 | 0 | 0 | 0 | 0 | 0 | 0
328 | RT | Voltage Support | PG&E | Sierra | 2017-10-08 | 20- 62 | Yes | INC | 11 | 3:15 | 14:00 | 6.5554 | 12507.9502 | 13.0225 | -91.9844 | 0 | 0 | 0 | 0 | 0 | 0
329 | RT | Voltage Support | PG&E | Sierra | 2017-10-09 | 20 | No | INC | 8 | 3:10 | 11:00 | -52.2192 | 9573.0002 | 0 | 1707.0431 | 0 | 0 | 0 | 0 | 0 | 0
330 | RT | Voltage Support | PG&E | Sierra | 2017-10-14 | 20 | Yes | INC | 11 | 5:15 | 16:00 | 5.0804 | 13613.7755 | 0 | -163.3203 | 0 | 0 | 0 | 0 | 0 | 0
331 | RT | Voltage Support | PG&E | Sierra | 2017-10-15 | 20 | No | INC | 14 | 2:15 | 16:00 | 26.1798 | 16853.8494 | 818.19 | -1090.4509 | 0 | 0 | 0 | 0 | 0 | 0
332 | RT | Voltage Support | PG&E | Sierra | 2017-10-22 | 20 | Yes | DEC | 8 | 12:30 | 20:00 | -1.0938 | -8.7888e-05 | 0 | 42.5644 | 0 | 0 | 0 | 0 | 0 | 0
333 | RT | Voltage Support | PG&E | Sierra | 2017-10-22 | 20 | Yes | INC | 8 | 12:30 | 20:00 | -1.8129 | 7472.8998 | 0 | 150.4254 | 0 | 0 | 0 | 0 | 0 | 0
334 | RT | Voltage Support | PG&E | Sierra | 2017-10-23 | 20 | Yes | INC | 11 | 1:00 | 12:00 | -13.3113 | 14164.3705 | 0 | 585.7025 | 0 | 0 | 0 | 0 | 0 | 0
335 | RT | Voltage Support | SCE | N/A | 2017-10-02 | 125 | Yes | INC | 4 | 11:00 | 15:00 | 59.2723 | 15875.5996 | 0 | -1283.0206 | 0 | 0 | 0 | 0 | 0 | 0

## Price_Impact_A
Table 8: Price Impact Analysis Information for Pricing Node A in PGAE LAP
Number | Trade Date | Trade Hour | Interval | Market LMP | Eligible Flag | Calculated LMP | Change in LMP
1 | 2017-10-18 | 11 | 1 | 25.9552 | No | 22.37 | -3.5852
2 | 2017-10-18 | 11 | 2 | 25.5484 | No | 22.37 | -3.1785
3 | 2017-10-18 | 11 | 3 | 22.8737 | No | 22.37 | -0.50374
4 | 2017-10-18 | 11 | 4 | 24.6841 | No | 22.37 | -2.3141
5 | 2017-10-18 | 11 | 5 | 21.4864 | No | 22.37 | 0.88364
6 | 2017-10-18 | 11 | 6 | 22.35 | No | 22.37 | 0.02003
7 | 2017-10-18 | 11 | 7 | 23.0086 | No | 22.37 | -0.63857
8 | 2017-10-18 | 11 | 8 | 29.1545 | No | 22.37 | -6.7845
9 | 2017-10-18 | 11 | 9 | 28.1261 | No | 22.37 | -5.7561
10 | 2017-10-18 | 11 | 10 | 25.7894 | No | 22.37 | -3.4194
11 | 2017-10-18 | 11 | 11 | 26.3008 | No | 22.37 | -3.9308
12 | 2017-10-18 | 11 | 12 | 26.5938 | No | 22.37 | -4.2238
13 | 2017-10-18 | 12 | 1 | 25.2825 | No | 22.37 | -2.9125
14 | 2017-10-18 | 12 | 2 | 23.9387 | No | 22.37 | -1.5688
15 | 2017-10-18 | 12 | 3 | 23.7156 | No | 22.37 | -1.3456
16 | 2017-10-18 | 12 | 4 | 28.3967 | Yes | 22.37 | -6.0267
17 | 2017-10-18 | 12 | 5 | 34.2437 | Yes | 22.37 | -11.8737
18 | 2017-10-18 | 12 | 6 | 30.9258 | Yes | 22.37 | -8.5558
19 | 2017-10-18 | 12 | 7 | 34.3686 | Yes | 22.37 | -11.9986
20 | 2017-10-18 | 12 | 8 | 33.1644 | Yes | 22.37 | -10.7944
21 | 2017-10-18 | 12 | 9 | 29.18 | Yes | 22.37 | -6.81
22 | 2017-10-18 | 12 | 10 | 28.4503 | Yes | 22.37 | -6.0803
23 | 2017-10-18 | 12 | 11 | 27.6523 | Yes | 22.37 | -5.2823
24 | 2017-10-18 | 12 | 12 | 33.695 | Yes | 22.37 | -11.325
25 | 2017-10-23 | 17 | 1 | 39.6353 | No | 21.29 | -18.3453
26 | 2017-10-23 | 17 | 6 | 73.2783 | Yes | 0.15 | -73.1283
27 | 2017-10-23 | 17 | 7 | 61.9488 | Yes | 0.15 | -61.7988
28 | 2017-10-23 | 17 | 8 | 80.7691 | Yes | 0.15 | -80.6191
29 | 2017-10-23 | 17 | 9 | 73.5086 | Yes | 0.15 | -73.3586
30 | 2017-10-23 | 17 | 10 | 82.8149 | Yes | 0.15 | -82.6649
31 | 2017-10-23 | 17 | 11 | 97.1904 | Yes | 0.15 | -97.0404
32 | 2017-10-23 | 17 | 12 | 102.3668 | Yes | 0.15 | -102.2168
33 | 2017-10-24 | 15 | 1 | 50.0202 | Yes | 0.4 | -49.6202
34 | 2017-10-24 | 15 | 6 | 56.6136 | Yes | 0.4 | -56.2136
35 | 2017-10-24 | 15 | 7 | 56.6136 | Yes | 0.4 | -56.2136
36 | 2017-10-24 | 15 | 8 | 56.6136 | Yes | 0.4 | -56.2136
37 | 2017-10-24 | 15 | 9 | 56.6136 | Yes | 0.4 | -56.2136
38 | 2017-10-24 | 15 | 10 | 56.6136 | Yes | 0.4 | -56.2136
39 | 2017-10-24 | 15 | 11 | 56.6136 | Yes | 0.4 | -56.2136
40 | 2017-10-24 | 15 | 12 | 57.4302 | Yes | 0.4 | -57.0302
41 | 2017-10-24 | 16 | 1 | 44.3584 | Yes | 0.4 | -43.9584
42 | 2017-10-24 | 16 | 2 | 39.4818 | Yes | 0.4 | -39.0818
43 | 2017-10-24 | 16 | 3 | 39.4363 | Yes | 0.4 | -39.0363
44 | 2017-10-24 | 16 | 4 | 42.9107 | Yes | 0.4 | -42.5107
45 | 2017-10-24 | 16 | 5 | 41.9592 | Yes | 0.4 | -41.5592
46 | 2017-10-24 | 16 | 6 | 46.6654 | Yes | 0.4 | -46.2654
47 | 2017-10-24 | 16 | 7 | 36.2162 | Yes | 0.4 | -35.8162
48 | 2017-10-24 | 16 | 8 | 37.5493 | Yes | 0.4 | -37.1493
49 | 2017-10-24 | 16 | 9 | 42.5709 | Yes | 0.4 | -42.1709
50 | 2017-10-24 | 16 | 10 | 50.4178 | Yes | 0.4 | -50.0178
51 | 2017-10-24 | 16 | 11 | 50.4287 | Yes | 0.4 | -50.0287
52 | 2017-10-24 | 16 | 12 | 51.6221 | Yes | 0.4 | -51.2221
53 | 2017-10-24 | 19 | 1 | 983.6953 | Yes | 0.4 | -983.2953
54 | 2017-10-24 | 19 | 2 | 983.6953 | Yes | 0.4 | -983.2953
55 | 2017-10-24 | 19 | 3 | 983.6953 | Yes | 0.4 | -983.2953
56 | 2017-10-24 | 19 | 4 | 983.6953 | Yes | 0.4 | -983.2953
57 | 2017-10-24 | 19 | 5 | 983.6953 | Yes | 0.4 | -983.2953
58 | 2017-10-24 | 19 | 6 | 983.6953 | Yes | 0.4 | -983.2953
59 | 2017-10-24 | 19 | 7 | 983.6953 | Yes | 0.4 | -983.2953
60 | 2017-10-24 | 19 | 8 | 983.6953 | Yes | 0.4 | -983.2953
61 | 2017-10-24 | 19 | 9 | 996.6028 | Yes | 0.4 | -996.2028
62 | 2017-10-24 | 19 | 10 | 994.2537 | Yes | 0.4 | -993.8537
63 | 2017-10-24 | 19 | 11 | 1003.5068 | Yes | 0.4 | -1003.1069
64 | 2017-10-24 | 19 | 12 | 1012.5009 | Yes | 0.4 | -1012.1009
65 | 2017-10-24 | 20 | 1 | 1004.9687 | Yes | 0.4 | -1004.5687
66 | 2017-10-24 | 20 | 2 | 1011.2091 | Yes | 0.4 | -1010.8091
67 | 2017-10-24 | 20 | 3 | 1009.2543 | Yes | 0.4 | -1008.8543
68 | 2017-10-24 | 20 | 4 | 1012.2517 | Yes | 0.4 | -1011.8517
69 | 2017-10-24 | 20 | 5 | 1016.6992 | Yes | 0.4 | -1016.2992
70 | 2017-10-24 | 20 | 6 | 597.988 | Yes | 0.4 | -597.588
71 | 2017-10-24 | 20 | 7 | 277.463 | Yes | 0.4 | -277.063
72 | 2017-10-24 | 20 | 8 | 213.3099 | Yes | 0.4 | -212.9099
73 | 2017-10-24 | 20 | 9 | 167.2787 | Yes | 0.4 | -166.8787
74 | 2017-10-24 | 20 | 10 | 280.1603 | Yes | 0.4 | -279.7603
75 | 2017-10-24 | 20 | 11 | 280.1603 | Yes | 0.4 | -279.7603
76 | 2017-10-24 | 20 | 12 | 280.1603 | Yes | 0.4 | -279.7603
77 | 2017-10-26 | 7 | 1 | 32.5245 | No | 21.61 | -10.9145
78 | 2017-10-26 | 7 | 2 | 26.7608 | No | 21.61 | -5.1508
79 | 2017-10-26 | 7 | 3 | 27.7705 | No | 21.61 | -6.1605
80 | 2017-10-26 | 7 | 4 | 28.17 | No | 21.61 | -6.56
81 | 2017-10-26 | 7 | 5 | 31.9822 | No | 21.61 | -10.3722
82 | 2017-10-26 | 7 | 6 | 37.6414 | No | 21.61 | -16.0314
83 | 2017-10-26 | 7 | 7 | 39.1666 | No | 21.61 | -17.5566
84 | 2017-10-26 | 7 | 8 | 41.8672 | No | 21.61 | -20.2572
85 | 2017-10-26 | 7 | 9 | 48.6361 | No | 21.61 | -27.0261
86 | 2017-10-26 | 7 | 10 | 58.3803 | No | 21.61 | -36.7703
87 | 2017-10-26 | 7 | 11 | 48.5934 | No | 21.61 | -26.9835
88 | 2017-10-26 | 7 | 12 | 72.1128 | No | 21.61 | -50.5028
89 | 2017-10-27 | 9 | 1 | 37.1302 | No | 21.48 | -15.6502
90 | 2017-10-27 | 9 | 2 | 32.5605 | No | 21.48 | -11.0805
91 | 2017-10-27 | 9 | 3 | 32.6957 | No | 21.48 | -11.2157
92 | 2017-10-27 | 9 | 4 | 26.0137 | No | 21.48 | -4.5337
93 | 2017-10-27 | 9 | 5 | 26.0137 | No | 21.48 | -4.5337
94 | 2017-10-27 | 9 | 6 | 25.008 | No | 21.48 | -3.528
95 | 2017-10-27 | 9 | 7 | 24.6958 | No | 21.48 | -3.2158
96 | 2017-10-27 | 9 | 8 | 24.3459 | No | 21.48 | -2.8659
97 | 2017-10-27 | 9 | 9 | 23.9424 | No | 21.48 | -2.4624
98 | 2017-10-27 | 9 | 10 | 23.4782 | Yes | 21.48 | -1.9983
99 | 2017-10-27 | 9 | 11 | 21.7567 | Yes | 21.48 | -0.27667
100 | 2017-10-27 | 9 | 12 | 20.9339 | Yes | 21.48 | 0.54606

## Price_Impact_B
Table 9: Price Impact Analysis Information for Pricing Node B in SCE LAP
Number | Trade Date | Trade Hour | Interval | Market LMP | Eligible Flag | Calculated LMP | Change in LMP
1 | 2017-10-23 | 19 | 5 | 896.6979 | Yes | 60 | -836.6979
2 | 2017-10-23 | 19 | 6 | 896.6979 | Yes | 60 | -836.6979
3 | 2017-10-23 | 19 | 7 | 891.3614 | Yes | 60 | -831.3614
4 | 2017-10-23 | 19 | 8 | 998.8056 | Yes | 60 | -938.8056
5 | 2017-10-23 | 19 | 9 | 998.8056 | Yes | 60 | -938.8056
6 | 2017-10-23 | 19 | 10 | 998.8056 | Yes | 60 | -938.8056
7 | 2017-10-23 | 19 | 11 | 290.1448 | Yes | 60 | -230.1448
8 | 2017-10-23 | 19 | 12 | 163.1473 | Yes | 60 | -103.1473
9 | 2017-10-24 | 19 | 1 | 979.3334 | No | 74.97 | -904.3634
10 | 2017-10-24 | 19 | 2 | 979.3334 | No | 74.97 | -904.3634
11 | 2017-10-24 | 19 | 3 | 979.3334 | No | 74.97 | -904.3634
12 | 2017-10-24 | 19 | 4 | 979.3334 | No | 74.97 | -904.3634
13 | 2017-10-24 | 19 | 5 | 979.3334 | No | 74.97 | -904.3634
14 | 2017-10-24 | 19 | 6 | 979.3334 | No | 74.97 | -904.3634
15 | 2017-10-24 | 19 | 7 | 979.3334 | No | 74.97 | -904.3634
16 | 2017-10-24 | 19 | 8 | 979.3334 | No | 74.97 | -904.3634
17 | 2017-10-24 | 19 | 12 | 868.422 | No | 74.97 | -793.452
18 | 2017-10-24 | 20 | 10 | 0.43227 | No | 41.42 | 40.9877
19 | 2017-10-24 | 20 | 11 | 0.43227 | No | 41.42 | 40.9877
20 | 2017-10-24 | 20 | 12 | 0.43227 | No | 41.42 | 40.9877
21 | 2017-10-24 | 21 | 1 | 97.6061 | No | 69.98 | -27.6261
22 | 2017-10-24 | 21 | 2 | 139.7406 | No | 69.98 | -69.7606
23 | 2017-10-24 | 23 | 1 | 62.785 | No | 50 | -12.785
24 | 2017-10-24 | 23 | 2 | 62.6247 | No | 50 | -12.6247
25 | 2017-10-24 | 23 | 3 | 62.5869 | No | 50 | -12.5869
26 | 2017-10-24 | 23 | 4 | 61.9009 | Yes | 63.97 | 2.0691
27 | 2017-10-24 | 23 | 5 | 61.8488 | Yes | 63.97 | 2.1212
28 | 2017-10-24 | 23 | 6 | 61.8488 | Yes | 63.97 | 2.1212
29 | 2017-10-24 | 23 | 7 | 49.3965 | Yes | 63.97 | 14.5735
30 | 2017-10-24 | 23 | 8 | 62.7463 | Yes | 63.97 | 1.2237
31 | 2017-10-24 | 23 | 9 | 63.249 | Yes | 63.97 | 0.72101
32 | 2017-10-24 | 23 | 10 | 39.7284 | Yes | 63.97 | 24.2416
33 | 2017-10-24 | 23 | 11 | 60.1297 | Yes | 63.97 | 3.8403
34 | 2017-10-24 | 23 | 12 | 40.9494 | Yes | 63.97 | 23.0206
35 | 2017-10-25 | 1 | 1 | 60.7967 | Yes | 59.89 | -0.90669
36 | 2017-10-25 | 1 | 2 | 43.4387 | Yes | 59.89 | 16.4513
37 | 2017-10-25 | 1 | 3 | 44.1347 | Yes | 59.89 | 15.7553
38 | 2017-10-25 | 1 | 4 | 74.2984 | Yes | 59.89 | -14.4084
39 | 2017-10-25 | 1 | 5 | 40.1722 | Yes | 59.89 | 19.7177
40 | 2017-10-25 | 1 | 6 | 40.1722 | Yes | 59.89 | 19.7177
41 | 2017-10-25 | 1 | 7 | 40.1722 | Yes | 59.89 | 19.7177
42 | 2017-10-25 | 1 | 8 | 39.572 | Yes | 59.89 | 20.318
43 | 2017-10-25 | 1 | 9 | 38.3374 | Yes | 59.89 | 21.5526
44 | 2017-10-25 | 1 | 10 | 36.4451 | Yes | 59.89 | 23.4449
45 | 2017-10-25 | 1 | 11 | 35.6557 | Yes | 59.89 | 24.2343
46 | 2017-10-25 | 1 | 12 | 34.8712 | Yes | 59.89 | 25.0188
47 | 2017-10-25 | 20 | 1 | 58.2419 | Yes | 65.63 | 7.3881
48 | 2017-10-25 | 20 | 2 | 51.1553 | Yes | 65.63 | 14.4747
49 | 2017-10-25 | 20 | 3 | 46.8252 | Yes | 65.63 | 18.8048
50 | 2017-10-25 | 20 | 4 | 52.1766 | Yes | 65.63 | 13.4534
51 | 2017-10-25 | 20 | 5 | 52.6491 | Yes | 65.63 | 12.9809
52 | 2017-10-25 | 20 | 6 | 53.3154 | Yes | 65.63 | 12.3146
53 | 2017-10-25 | 20 | 7 | 51.3896 | Yes | 65.63 | 14.2404
54 | 2017-10-25 | 20 | 8 | 52.698 | Yes | 65.63 | 12.932
55 | 2017-10-25 | 20 | 9 | 51.6968 | Yes | 65.63 | 13.9332
56 | 2017-10-25 | 20 | 10 | 46.9399 | Yes | 65.63 | 18.6901
57 | 2017-10-25 | 20 | 11 | 45.9505 | Yes | 65.63 | 19.6795
58 | 2017-10-25 | 20 | 12 | 48.8363 | Yes | 65.63 | 16.7937
59 | 2017-10-25 | 21 | 3 | 44.7235 | Yes | 65.63 | 20.9065

## Bid_Mitigation
Table 10: Exceptional Dispatch Bid Mitigation Analysis Information
Type | Number of Resources | Costs without Bid Mitigation | Costs with Bid Mitigation | Cost Savings
NONTMOD | 10 | 17924.4109 | 9519.572 | 8404.8389
TMODEL5 | 0 | 0 | 0 | 0
Total | 10 | 17924.4109 | 9519.572 | 8404.8389