## Table 2
California Independent System Operator Corporation Exceptional Dispatch Report
Chart 2: Table of Exceptional Dispatches for September 2021
Number | Market Type | Reason | Location | Local Reliability Area | Trade Date | MW | Commitment | INC_DEC | Hours | Begin Time | End Time | Total MWH | Min Load cost | Startup Cost | CC6470 | ED MWH (INC/DEC) | CC6470 INC | CC6470 DEC | CC6482 | CC6488 | CC6620
1 | RT | Bridging Schedules | SCE | Big Creek-Ventura | 2021-09-07 | 50 | No | INC | 1 | 44446.9583 | 44447 | -1.8167 | 15244.7675 | 0 | 125.247 | 0 | 0 | 0 | 0 | 0 | 0
2 | RT | Bridging Schedules | SCE | Big Creek-Ventura | 2021-09-08 | 100 | No | INC | 8 | 44447.3194 | 44447.625 | -2.5948 | 198610.05 | 120702.3323 | 4542.8066 | 0 | 0 | 0 | 0 | 0 | 0
3 | RT | Bridging Schedules | SCE | Big Creek-Ventura | 2021-09-09 | 50 | No | INC | 1 | 44448.9583 | 44449 | 27.0917 | 40362.5475 | 0 | -3005.0523 | 0 | 0 | 0 | 0 | 0 | 0
4 | RT | Bridging Schedules | SCE | Big Creek-Ventura | 2021-09-10 | 50 - 100 | No | INC | 14 | 44449 | 44449.5833 | 12.55 | 627528.75 | 0 | -1170.7784 | 0 | 0 | 0 | 0 | 0 | 0
5 | RT | Bridging Schedules | SCE | LA Basin | 2021-09-07 | 10 - 20 | No | INC | 24 | 44446 | 44447 | 7.9946 | 20918 | 0 | -411.5488 | 0 | 0 | 0 | 0 | 0 | 0
6 | RT | Bridging Schedules | SCE | LA Basin | 2021-09-08 | 20 | No | INC | 1 | 44447.9583 | 44448 | 0.00070008 | 5639.72 | 0 | -0.088298 | 0 | 0 | 0 | 0 | 0 | 0
7 | RT | Bridging Schedules | SCE | LA Basin | 2021-09-09 | 10 - 20 | Yes | INC | 2 | 44448.9167 | 44449 | -2.1057 | 14391.5 | 0 | 282.4436 | 0 | 0 | 0 | 0 | 0 | 0
8 | RT | Bridging Schedules | SCE | LA Basin | 2021-09-10 | 10 | Yes | INC | 12 | 44449 | 44449.5 | -4.6292 | 57224.28 | 0 | 597.1425 | 0 | 0 | 0 | 0 | 0 | 0
9 | RT | Bridging Schedules | SCE | LA Basin | 2021-09-12 | 10 - 20 | No | INC | 1 | 44451.9583 | 44452 | 0 | 13871.89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | RT | Bridging Schedules | SDGE | San Diego-IV | 2021-09-07 | 500 | No | INC | 11 | 44446.0625 | 44446.5 | 99.0899 | 207934.9 | 0 | -5043.3142 | 71.7794 | -3964.1067 | 0 | 0 | 0 | 0
11 | RT | Conditions beyond the control of the CAISO | SCE | Big Creek-Ventura | 2021-09-11 | 70 - 461 | No | DEC | 6 | 44450.7604 | 44451 | -187.2709 | 1678.68 | 0 | 8622.2902 | -188.0833 | 0 | 8637.8476 | 0 | 0 | 0
12 | RT | Conditions beyond the control of the CAISO | SCE | Big Creek-Ventura | 2021-09-11 | 69 - 70 | No | INC | 6 | 44450.7604 | 44451 | 35.3722 | 123142.02 | 6594.31 | -3320.6035 | 1.25 | -115.5362 | 0 | -235.9427 | 0 | 0
13 | RT | Conditions beyond the control of the CAISO | SCE | Big Creek-Ventura | 2021-09-12 | 70 - 461 | No | DEC | 2 | 44451 | 44451.0729 | 33.9238 | 419.67 | 0 | -1867.0669 | 0 | 0 | 0 | 0 | 0 | 0
14 | RT | Conditions beyond the control of the CAISO | SCE | Big Creek-Ventura | 2021-09-12 | 70 | Yes | INC | 2 | 44451 | 44451.0729 | -2.0833 | 25082.295 | 0 | 119.9759 | 0 | 0 | 0 | -126.192 | 0 | 0
15 | RT | Conditions beyond the control of the CAISO | SCE | Big Creek-Ventura | 2021-09-17 | 242 | No | DEC | 4 | 44456.6319 | 44456.7604 | -35.8417 | -111546.5768 | 0 | 2208.0228 | -6.6993 | 0 | 290.7281 | 0 | 0 | 0
16 | RT | Conditions beyond the control of the CAISO | SCE | LA Basin | 2021-09-17 | 190 - 194 | No | INC | 8 | 44456.6076 | 44456.9167 | -24.0867 | 0 | 0 | 2263.2543 | 70.8278 | -4194.0936 | 0 | -43462.1192 | 0 | 0
17 | RT | Fast Start Unit Management | PGAE | Bay Area | 2021-09-01 | 0 | No | INC | 1 | 44440.6319 | 44440.6667 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | RT | Gas Limitations | SDGE | San Diego-IV | 2021-09-03 | 300 | No | DEC | 8 | 44442 | 44442.3333 | 1.1841 | 0 | 0 | -50.5299 | 0 | 0 | 0 | 0 | 0 | 0
19 | RT | Gas Limitations | SDGE | San Diego-IV | 2021-09-07 | 291 - 502 | No | DEC | 15 | 44446.4062 | 44447 | -19.5175 | -74435.5726 | 0 | 74038.4625 | 113.9641 | -8879.6335 | 686.5476 | -104.3553 | 0 | 0
20 | RT | Gas Limitations | SDGE | San Diego-IV | 2021-09-07 | 291 - 502 | No | INC | 3 | 44446.4062 | 44446.5 | -19.865 | 46785.3525 | 0 | 962.0692 | -11.175 | 0 | 482.8718 | 0 | 0 | 0
21 | RT | Gas Limitations | SDGE | San Diego-IV | 2021-09-08 | 500 | No | DEC | 24 | 44447 | 44448 | -52.3667 | -187964.19 | 0 | 6228.8013 | -57.8375 | 0 | 5919.6682 | 0 | 0 | 0
22 | RT | Gas Limitations | SDGE | San Diego-IV | 2021-09-08 | 500 | No | INC | 12 | 44447.0417 | 44447.5417 | 32.0025 | 0 | 0 | -3088.4759 | 0 | 0 | 0 | -40237.9145 | 0 | 0
23 | RT | Incomplete or Inaccurate Transmission | PGAE | Fresno | 2021-09-08 | 40 - 46 | No | DEC | 3 | 44447.691 | 44447.8125 | -4.2412 | 0 | 0 | -10976.1573 | -7.2925 | 0 | 2080.9289 | 0 | -18063.2688 | 0
24 | RT | Incomplete or Inaccurate Transmission | PGAE | Humboldt | 2021-09-01 | 30 - 45 | No | INC | 24 | 44440 | 44441 | 22.0533 | 48508.1825 | 0 | -870.3858 | -1.2625 | 0 | 57.2142 | 0 | -32.8527 | 0
25 | RT | Incomplete or Inaccurate Transmission | PGAE | Humboldt | 2021-09-02 | 30 - 45 | No | INC | 24 | 44441 | 44442 | -6.3021 | 86063.68 | 0 | 237.046 | -4.5958 | 0 | 185.8026 | 0 | -100.0777 | 0
26 | RT | Incomplete or Inaccurate Transmission | PGAE | Humboldt | 2021-09-03 | 30 - 45 | No | INC | 24 | 44442 | 44443 | 7.2408 | 54687.0775 | 0 | -401.6485 | -1.2242 | 0 | 54.923 | 0 | -19.9697 | 0
27 | RT | Incomplete or Inaccurate Transmission | PGAE | Humboldt | 2021-09-04 | 30 | No | DEC | 4 | 44443.7083 | 44443.875 | 0.98848 | 0 | 0 | -48.6842 | 0 | 0 | 0 | 0 | -1066.588 | 0
28 | RT | Incomplete or Inaccurate Transmission | PGAE | Humboldt | 2021-09-04 | 30 - 45 | No | INC | 24 | 44443 | 44444 | -0.065208 | 38370.4 | 0 | -77.4681 | -2.5708 | 0 | 99.1534 | 0 | -59.8032 | 0
29 | RT | Incomplete or Inaccurate Transmission | PGAE | Humboldt | 2021-09-05 | 30 - 45 | No | DEC | 9 | 44444.5833 | 44444.9583 | 4.2237 | -13553.6571 | 0 | -475.8907 | 0 | 0 | 0 | 0 | -1819.2932 | 0
30 | RT | Incomplete or Inaccurate Transmission | PGAE | Humboldt | 2021-09-05 | 30 - 45 | No | INC | 24 | 44444 | 44445 | -7.7501 | 47963 | 0 | 367.974 | -2.4942 | 0 | 125.4228 | 0 | -74.0436 | 0
31 | RT | Incomplete or Inaccurate Transmission | PGAE | Humboldt | 2021-09-06 | 30 | No | DEC | 9 | 44445.5833 | 44445.9583 | -2.7218 | -19675.8057 | 0 | 244.2379 | 0 | 0 | 0 | 0 | -2051.3199 | 0
32 | RT | Incomplete or Inaccurate Transmission | PGAE | Humboldt | 2021-09-06 | 30 - 45 | No | INC | 24 | 44445 | 44446 | 1.773 | 47003.74 | 0 | -240.6187 | -1.8008 | 0 | 80.0356 | 0 | -220.1418 | 0
33 | RT | Incomplete or Inaccurate Transmission | PGAE | Humboldt | 2021-09-07 | 30 - 45 | No | DEC | 12 | 44446.4583 | 44446.9583 | 4.7388 | -19579.5338 | 0 | -292.9546 | -0.635 | 0 | 38.532 | 0 | -15396.3568 | 0
34 | RT | Incomplete or Inaccurate Transmission | PGAE | Humboldt | 2021-09-07 | 30 - 45 | No | INC | 24 | 44446 | 44447 | -1.3577 | 48442.63 | 0 | -391.1058 | -2.8517 | 0 | 149.1244 | 0 | -79.1567 | 0
35 | RT | Incomplete or Inaccurate Transmission | PGAE | Humboldt | 2021-09-08 | 30 - 45 | No | DEC | 14 | 44447.4167 | 44448 | -3.6743 | -10452.063 | 0 | 946.8393 | -1.4358 | 0 | 246.0158 | 0 | -19634.0485 | 0
36 | RT | Incomplete or Inaccurate Transmission | PGAE | Humboldt | 2021-09-08 | 30 - 45 | No | INC | 24 | 44447 | 44448 | 5.604 | 27880.6375 | 0 | -558.7706 | -1.6475 | 0 | 90.4073 | 0 | -83.7857 | 0
37 | RT | Incomplete or Inaccurate Transmission | PGAE | Humboldt | 2021-09-09 | 30 - 45 | No | DEC | 23 | 44448 | 44448.9583 | -5.6324 | -20123.3958 | 0 | 851.014 | -5.5029 | 0 | 569.2718 | 0 | -20063.9834 | 0
38 | RT | Incomplete or Inaccurate Transmission | PGAE | Humboldt | 2021-09-09 | 30 - 45 | No | INC | 24 | 44448 | 44449 | -6.7833 | 20423.865 | 0 | 413.1314 | -2.7679 | 0 | 188.2724 | 0 | -101.0547 | 0
39 | RT | Incomplete or Inaccurate Transmission | PGAE | Humboldt | 2021-09-10 | 45 | No | DEC | 11 | 44449.5417 | 44450 | -0.087417 | -3615.7788 | 0 | 39.7367 | 0 | 0 | 0 | 0 | -2510.5004 | 0
40 | RT | Incomplete or Inaccurate Transmission | PGAE | Humboldt | 2021-09-10 | 30 - 45 | No | INC | 24 | 44449 | 44450 | 6.1017 | 44685.17 | 0 | -414.2322 | 0 | 0 | 0 | 0 | 0 | 0
41 | RT | Incomplete or Inaccurate Transmission | PGAE | Humboldt | 2021-09-11 | 30 - 45 | No | DEC | 23 | 44450 | 44450.9583 | 4.3714 | -27864.0144 | 0 | -315.7879 | -1.3008 | 0 | 61.6358 | 0 | -4036.8054 | 0
42 | RT | Incomplete or Inaccurate Transmission | PGAE | Humboldt | 2021-09-11 | 45 | No | INC | 24 | 44450 | 44451 | 0.67792 | 42606.4 | 0 | -37.8831 | 0 | 0 | 0 | 0 | 0 | 0
43 | RT | Incomplete or Inaccurate Transmission | PGAE | Humboldt | 2021-09-12 | 45 | No | DEC | 9 | 44451.5417 | 44451.9167 | -3.198 | -23381.1381 | 0 | 274.509 | 0 | 0 | 0 | 0 | -1755.3068 | 0
44 | RT | Incomplete or Inaccurate Transmission | PGAE | Humboldt | 2021-09-12 | 30 - 45 | No | INC | 24 | 44451 | 44452 | -4.646 | 62311.86 | 0 | 1.343 | -3.2367 | 0 | 159.768 | 0 | -69.399 | 0
45 | RT | Incomplete or Inaccurate Transmission | PGAE | Humboldt | 2021-09-13 | 45 | No | DEC | 8 | 44452.5833 | 44452.9167 | 1.2213 | -7452.2304 | 0 | -53.7269 | 0 | 0 | 0 | 0 | -2714.5253 | 0
46 | RT | Incomplete or Inaccurate Transmission | PGAE | Humboldt | 2021-09-13 | 30 - 45 | No | INC | 24 | 44452 | 44453 | 10.9329 | 66306.21 | 0 | -587.748 | 0 | 0 | 0 | 0 | 0 | 0
47 | RT | Incomplete or Inaccurate Transmission | PGAE | Humboldt | 2021-09-14 | 30 - 60 | No | DEC | 9 | 44453.5417 | 44453.9167 | 1.0246 | -7751.6496 | 0 | -47.4778 | 0 | 0 | 0 | 0 | -1745.1147 | 0
48 | RT | Incomplete or Inaccurate Transmission | PGAE | Humboldt | 2021-09-14 | 30 - 60 | No | INC | 24 | 44453 | 44454 | 1.3147 | 76120.9725 | 0 | -113.1058 | -4.6065 | 0 | 206.6616 | 0 | -59.7363 | 0
49 | RT | Incomplete or Inaccurate Transmission | PGAE | Humboldt | 2021-09-15 | 30 - 56 | No | INC | 24 | 44454 | 44455 | -0.56563 | 111891.44 | 0 | -66.3338 | -4.9948 | 0 | 191.1342 | 0 | -77.414 | 0
50 | RT | Incomplete or Inaccurate Transmission | PGAE | Humboldt | 2021-09-16 | 15 - 30 | No | INC | 9 | 44455 | 44455.375 | -3.8002 | 22473.22 | 0 | 212.0809 | -0.45271 | -3.3503 | 38.1199 | 0 | -16.2338 | 0
51 | RT | Incomplete or Inaccurate Transmission | PGAE | NCNB | 2021-09-12 | 40 - 70 | No | DEC | 9 | 44451.6493 | 44452 | -28.16 | 0 | 0 | 1518.9777 | -40.2017 | 0 | 2280.3343 | 0 | -23288.1687 | 0
52 | RT | Incomplete or Inaccurate Transmission | PGAE | NCNB | 2021-09-13 | 55 - 60 | No | DEC | 24 | 44452 | 44453 | 0.56697 | 0 | 0 | 147.372 | -5 | 0 | 214.0783 | 0 | -39950.1871 | 0
53 | RT | Incomplete or Inaccurate Transmission | PGAE | NCNB | 2021-09-13 | 55 | No | INC | 1 | 44452.25 | 44452.2917 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
54 | RT | Incomplete or Inaccurate Transmission | PGAE | NCNB | 2021-09-14 | 55 | No | DEC | 8 | 44453 | 44453.3333 | -0.57731 | 0 | 0 | 22.2292 | 0 | 0 | 0 | 0 | -5412.7076 | 0
55 | RT | Incomplete or Inaccurate Transmission | PGAE | NCNB | 2021-09-14 | 55 | No | INC | 5 | 44453.0833 | 44453.2917 | -1.0756 | 0 | 0 | 52.6588 | 0 | 0 | 0 | 0 | 0 | 0
56 | RT | Incomplete or Inaccurate Transmission | PGAE | Sierra | 2021-09-20 | 20 | No | INC | 2 | 44459.8958 | 44459.9792 | -0.3275 | 4473.105 | 0 | 23.2512 | 0 | 0 | 0 | 0 | 0 | 0
57 | RT | Incomplete or Inaccurate Transmission | PGAE | Sierra | 2021-09-21 | 20 | No | DEC | 4 | 44460.7083 | 44460.875 | -3.9275 | 0 | 0 | 223.1419 | 0 | 0 | 0 | 0 | 0 | 0
58 | RT | Incomplete or Inaccurate Transmission | PGAE | Sierra | 2021-09-21 | 20 | No | INC | 8 | 44460.5868 | 44460.9167 | 9.2031 | 7282.625 | 0 | -1157.0411 | 0 | 0 | 0 | 0 | 0 | 0
59 | RT | Incomplete or Inaccurate Transmission | PGAE | Sierra | 2021-09-23 | 20 | No | DEC | 3 | 44462.7083 | 44462.8333 | -8.3965 | 0 | 0 | 569.5221 | 0 | 0 | 0 | 0 | 0 | 0
60 | RT | Incomplete or Inaccurate Transmission | PGAE | Sierra | 2021-09-23 | 20 | No | INC | 7 | 44462.625 | 44462.9167 | 12.4577 | 2844.57 | 0 | -916.7289 | 0 | 0 | 0 | 0 | 0 | 0
61 | RT | Incomplete or Inaccurate Transmission | PGAE | Stockton | 2021-09-08 | 20 | No | DEC | 1 | 44447.7083 | 44447.7153 | -3.4957 | 0 | 0 | 1504.7887 | -3.4957 | 0 | 1504.7887 | 0 | 0 | 0
62 | RT | Incomplete or Inaccurate Transmission | PGAE | Stockton | 2021-09-08 | 50 - 70 | No | INC | 4 | 44447.7188 | 44447.8854 | -7.8057 | 0 | 0 | -3.0388 | 0 | 0 | 0 | 0 | -271.0098 | 0
63 | RT | Incomplete or Inaccurate Transmission | SCE | NA | 2021-09-21 | 450 | No | DEC | 4 | 44460.7257 | 44460.875 | -59.4297 | -2820.9 | 0 | -18556.9841 | -51.6902 | 0 | -16116.7948 | 0 | -6942.7254 | 0
64 | RT | Incomplete or Inaccurate Transmission | SCE | NA | 2021-09-21 | 450 | No | INC | 2 | 44460.875 | 44460.9583 | -51.4002 | 0 | 0 | 3563.2015 | 0 | 0 | 0 | 0 | 0 | 0
65 | RT | Load Forecast Uncertainty | PGAE | Bay Area | 2021-09-08 | 24 | No | DEC | 8 | 44447.1771 | 44447.5 | -5.6295 | -28158.0357 | 0 | 426.1248 | 0 | 0 | 0 | 0 | 0 | 0
66 | RT | Load Forecast Uncertainty | PGAE | Bay Area | 2021-09-08 | 24 | No | INC | 2 | 44447.3333 | 44447.4167 | -4.4615 | 4536.82 | 0 | 282.1837 | 0 | 0 | 0 | -10.5462 | 0 | 0
67 | RT | Load Forecast Uncertainty | PGAE | Bay Area | 2021-09-19 | 133 | No | INC | 2 | 44458.7083 | 44458.7917 | -2.0573 | 28273.205 | 25134 | 494.5786 | 0 | 0 | 0 | 0 | 0 | 0
68 | RT | Load Forecast Uncertainty | PGAE | NA | 2021-09-09 | 307 | No | DEC | 14 | 44448.3472 | 44448.9167 | 0.16667 | 0 | 0 | -174.9442 | 0 | 0 | 0 | 0 | 0 | 0
69 | RT | Load Forecast Uncertainty | PGAE | NA | 2021-09-18 | 175 | No | INC | 4 | 44457.7083 | 44457.875 | -77.2342 | 0 | 0 | 4134.8695 | 0 | 0 | 0 | 0 | 0 | 0
70 | RT | Load Forecast Uncertainty | PGAE | NA | 2021-09-19 | 175 | No | INC | 3 | 44458.7083 | 44458.8333 | 43.3033 | 0 | 0 | -13651.307 | 0 | 0 | 0 | 0 | 0 | 0
71 | RT | Load Forecast Uncertainty | SCE | Big Creek-Ventura | 2021-09-05 | 50 | No | INC | 14 | 44444.4167 | 44445 | 363.8833 | 142768.9975 | 128934.77 | -19497.0357 | 0 | 0 | 0 | 0 | 0 | 0
72 | RT | Load Forecast Uncertainty | SCE | Big Creek-Ventura | 2021-09-06 | 50 | No | INC | 24 | 44445 | 44446 | 1393.6208 | 281502.6325 | 0 | -67278.5974 | 0 | 0 | 0 | 0 | 0 | 0
73 | RT | Load Forecast Uncertainty | SCE | Big Creek-Ventura | 2021-09-07 | 100 - 749 | No | INC | 13 | 44446.4583 | 44447 | 1240.4772 | 208775.415 | 0 | -104884.599 | 85.575 | -7301.701 | 0 | 0 | 0 | 0
74 | RT | Load Forecast Uncertainty | SCE | Big Creek-Ventura | 2021-09-09 | 100 | No | INC | 14 | 44448 | 44448.5833 | 0.052083 | 654509.4075 | 0 | -7.7412 | 0 | 0 | 0 | 0 | 0 | 0
75 | RT | Load Forecast Uncertainty | SCE | Big Creek-Ventura | 2021-09-13 | 50 | No | INC | 13 | 44452.4583 | 44453 | 0 | 167613.42 | 140994.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0
76 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2021-09-04 | 20 | No | INC | 14 | 44443.4167 | 44444 | -97.5663 | 60982.04 | 0 | 7973.0507 | 0 | 0 | 0 | 0 | 0 | 0
77 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2021-09-05 | 70 | No | INC | 9 | 44444.625 | 44445 | 10.0994 | 40233.0627 | 0 | -565.0354 | 0 | 0 | 0 | 0 | 0 | 0
78 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2021-09-06 | 10 - 70 | Yes | INC | 24 | 44445 | 44446 | -10.1319 | 101817.1625 | 0 | 3515.3043 | 0 | 0 | 0 | 0 | 0 | 0
79 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2021-09-07 | 271 | No | DEC | 1 | 44446.7882 | 44446.7917 | 0 | -717.9206 | 309.3288 | 0 | 0 | 0 | 0 | 0 | 0 | 0
80 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2021-09-07 | 10 - 479 | No | INC | 24 | 44446 | 44447 | 3644.7077 | 633932.1698 | 6062.8435 | -555011.7538 | 65.4141 | -5534.9439 | 0 | -13134.2732 | 0 | 0
81 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2021-09-09 | 155 | No | DEC | 5 | 44448.6667 | 44448.875 | 0.026042 | 0 | 0 | -3.7216 | 0 | 0 | 0 | 0 | 0 | 0
82 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2021-09-09 | 140 - 462 | No | INC | 5 | 44448.6667 | 44448.875 | 28.9332 | 0 | 0 | -4981.3165 | 23.5186 | -4126.8056 | 0 | -6040.0674 | 0 | 0
83 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2021-09-10 | 70 | No | INC | 23 | 44449.0417 | 44450 | 37.315 | 285995 | 0 | -2649.8182 | 0 | 0 | 0 | 0 | 0 | 0
84 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2021-09-22 | 10 - 20 | No | INC | 14 | 44461.4167 | 44462 | -65.1646 | 67415.4675 | 0 | 5530.1887 | 0 | 0 | 0 | 0 | 0 | 0
85 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2021-09-23 | 10 - 20 | Yes | INC | 24 | 44462 | 44463 | 289.3313 | 87153.9575 | 0 | -64292.8343 | 0 | 0 | 0 | 0 | 0 | 0
86 | RT | Load Forecast Uncertainty | SCE | NA | 2021-09-07 | 180 - 280 | No | INC | 8 | 44446.6667 | 44447 | -133.9583 | 146434.22 | 41443.77 | 41646.5118 | 0 | 0 | 0 | 0 | 0 | 0
87 | RT | Load Forecast Uncertainty | SCE | NA | 2021-09-22 | 125 | No | INC | 20 | 44461.1667 | 44462 | 44.5765 | 254974.465 | 0 | -1810.5195 | 0 | 0 | 0 | 0 | 0 | 0
88 | RT | Load Forecast Uncertainty | SDGE | San Diego-IV | 2021-09-08 | 25 | No | INC | 5 | 44447.7153 | 44447.9167 | -8.6169 | 21552.2533 | 0 | 1271.2621 | 0.010833 | -1.3062 | 0 | -0.36793 | 0 | 0
89 | RT | Load Forecast Uncertainty | SDGE | San Diego-IV | 2021-09-09 | 500 | No | DEC | 12 | 44448.5 | 44449 | -23.7301 | -166931.4819 | 0 | 4178.2791 | 0 | 0 | 0 | 0 | 0 | 0
90 | RT | Load Forecast Uncertainty | SDGE | San Diego-IV | 2021-09-09 | 500 | No | INC | 12 | 44448 | 44448.5 | 11.4773 | 198233.09 | 0 | -1178.8468 | 0 | 0 | 0 | -60427.3762 | 0 | 0
91 | RT | Load Forecast Uncertainty | SDGE | San Diego-IV | 2021-09-10 | 500 | No | DEC | 24 | 44449 | 44450 | -11.733 | -28303.99 | 0 | 322.1678 | 0 | 0 | 0 | 0 | 0 | 0
92 | RT | Load Forecast Uncertainty | SDGE | San Diego-IV | 2021-09-10 | 500 | No | INC | 10 | 44449.0833 | 44449.5 | -47.23 | 238553.64 | 0 | 2882.4711 | 0 | 0 | 0 | -2248.3698 | 0 | 0
93 | RT | Load Forecast Uncertainty | SDGE | San Diego-IV | 2021-09-22 | 24 | No | DEC | 3 | 44461.7083 | 44461.8333 | 39.4798 | 0 | 0 | -3879.2913 | 0 | 0 | 0 | 0 | 0 | 0
94 | RT | Load Forecast Uncertainty | SDGE | San Diego-IV | 2021-09-22 | 24 | No | INC | 9 | 44461.4444 | 44461.7917 | 29.2507 | 14729.5958 | 456.4823 | -2949.2727 | 0 | 0 | 0 | 0 | 0 | 0
95 | RT | Market Disruption | Intertie | NA | 2021-09-05 | 38 | No | INC | 4 | 44444.75 | 44444.9167 | -2.5075 | 0 | 0 | 16.0765 | 0 | 0 | 0 | 0 | 0 | 0
96 | RT | Market Disruption | PGAE | Bay Area | 2021-09-05 | 150 | No | INC | 2 | 44444.6181 | 44444.6667 | 39.9513 | 8770.56 | 0 | -2171.077 | 39.9513 | -2171.077 | 0 | -873.5515 | 0 | 0
97 | RT | Market Disruption | PGAE | Bay Area | 2021-09-30 | 375 | No | DEC | 1 | 44469.9861 | 44470 | -23.0375 | 0 | 0 | 1272.6493 | -6.9333 | 0 | 391.7333 | 0 | 0 | 0
98 | RT | Market Disruption | PGAE | Fresno | 2021-09-05 | 83 - 100 | No | INC | 3 | 44444.6181 | 44444.7083 | 82.7059 | 42054.4581 | 0 | -4791.3261 | 0 | 0 | 0 | 0 | 0 | 0
99 | RT | Market Disruption | SCE | LA Basin | 2021-09-30 | 290 | No | INC | 1 | 44469.9861 | 44470 | -52.5256 | 0 | 0 | 2726.8788 | -46.5792 | 0 | 2414.1618 | 0 | 0 | 0
100 | RT | Market Disruption | SDGE | San Diego-IV | 2021-09-05 | 104 - 400 | No | INC | 2 | 44444.625 | 44444.7083 | 447.3193 | -1104.585 | 228.618 | -24079.9782 | 443.2343 | -23858.8468 | 0 | -2378.3089 | 0 | 0
101 | RT | Market Disruption | SDGE | San Diego-IV | 2021-09-30 | 295 | No | DEC | 1 | 44469.9826 | 44470 | -56.2755 | 0 | 0 | 2857.8336 | -56.1505 | 0 | 2851.3224 | 0 | 0 | 0
102 | RT | Planned Transmission Outage | PGAE | Bay Area | 2021-09-14 | 120 | No | INC | 4 | 44453.7396 | 44453.9062 | -97.1604 | 32008.2 | 20110.7556 | 7301.1954 | 0 | 0 | 0 | 0 | 0 | 0
103 | RT | Planned Transmission Outage | PGAE | Bay Area | 2021-09-22 | 120 | No | INC | 17 | 44461.3125 | 44462 | 397.1029 | 230617.7625 | 17820.5819 | -53211.3551 | 0 | 0 | 0 | 0 | 0 | 0
104 | RT | Planned Transmission Outage | PGAE | Bay Area | 2021-09-23 | 120 | No | INC | 24 | 44462 | 44463 | 97.3425 | 386612.9417 | 0 | -15139.3113 | 0 | 0 | 0 | 0 | 0 | 0
105 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-09-16 | 30 - 42 | No | INC | 11 | 44455.5764 | 44456 | 7.6423 | 39692.865 | 0 | -352.5962 | 0 | 0 | 0 | 0 | 0 | 0
106 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-09-17 | 15 - 45 | No | INC | 24 | 44456 | 44457 | 8.4698 | 74208.575 | 0 | -516.994 | -1.7169 | 0 | 101.8834 | 0 | -60.4868 | 0
107 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-09-18 | 15 - 30 | No | INC | 24 | 44457 | 44458 | 3.9729 | 57859.5675 | 0 | -109.5793 | 0 | 0 | 0 | 0 | 0 | 0
108 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-09-19 | 30 | No | INC | 24 | 44458 | 44459 | 0.21167 | 67265.31 | 0 | -94.7474 | 0 | 0 | 0 | 0 | 0 | 0
109 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-09-20 | 30 - 45 | No | DEC | 4 | 44459.7083 | 44459.875 | 5.4233 | 0 | 0 | -283.3955 | 0 | 0 | 0 | 0 | 0 | 0
110 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-09-20 | 30 - 45 | No | INC | 24 | 44459 | 44460 | -2.5375 | 76386.03 | 0 | -108.443 | 0 | 0 | 0 | 0 | 0 | 0
111 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-09-21 | 30 - 65 | No | DEC | 11 | 44460.5 | 44460.9583 | -11.604 | -17961.0651 | 0 | -146.1697 | 0 | 0 | 0 | 0 | -2.554 | 0
112 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-09-21 | 30 - 65 | No | INC | 24 | 44460 | 44461 | 2.4825 | 60410.19 | 0 | -150.7775 | 0 | 0 | 0 | 0 | 0 | 0
113 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-09-22 | 30 | No | DEC | 9 | 44461.5 | 44461.875 | 1.2422 | -25268.7627 | 0 | -13.997 | 0 | 0 | 0 | 0 | -1319.2587 | 0
114 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-09-22 | 15 - 30 | No | INC | 24 | 44461 | 44462 | -0.20104 | 46945.665 | 0 | -161.6099 | -2.1354 | 0 | 107.4394 | 0 | -48.7182 | 0
115 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-09-23 | 15 - 45 | No | DEC | 18 | 44462.1667 | 44462.9167 | 1.2244 | -22760.4885 | 0 | 952.0238 | 0 | 0 | 0 | 0 | -1070.7432 | 0
116 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-09-23 | 30 | No | INC | 24 | 44462 | 44463 | 8.6525 | 40007.59 | 0 | -525.1314 | 0 | 0 | 0 | 0 | 0 | 0
117 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-09-24 | 15 - 56 | No | DEC | 16 | 44463.3333 | 44464 | -1.7777 | 0 | 0 | 281.2247 | -0.62177 | 0 | 53.3526 | 0 | -195.1667 | 0
118 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-09-24 | 15 - 56 | No | INC | 24 | 44463 | 44464 | 10.2369 | 56844.21 | 0 | -1072.9287 | -0.89458 | 0 | 55.1462 | 0 | -35.4979 | 0
119 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-09-25 | 15 | No | DEC | 24 | 44464 | 44465 | 0.3175 | 0 | 0 | -17.6933 | 0 | 0 | 0 | 0 | -188.4179 | 0
120 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-09-25 | 30 - 56 | No | INC | 24 | 44464 | 44465 | -6.8058 | 68116.06 | 0 | 339.1839 | 0 | 0 | 0 | 0 | 0 | 0
121 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-09-26 | 15 | No | DEC | 20 | 44465 | 44465.7951 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
122 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-09-26 | 30 | No | INC | 24 | 44465 | 44466 | 8.0404 | 55610.1975 | 0 | -403.9311 | 0 | 0 | 0 | 0 | 0 | 0
123 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-09-27 | 30 - 45 | No | INC | 24 | 44466 | 44467 | 7.9931 | 75299.97 | 0 | -360.3601 | 0 | 0 | 0 | 0 | 0 | 0
124 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-09-28 | 30 - 45 | No | INC | 24 | 44467 | 44468 | -24.8158 | 93800.6875 | 0 | -177.4919 | 0 | 0 | 0 | 0 | -27.6908 | 0
125 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-09-29 | 15 - 45 | No | INC | 24 | 44468 | 44469 | 2.1227 | 97536.3417 | 0 | -184.5771 | 0 | 0 | 0 | 0 | -0.044818 | 0
126 | RT | Planned Transmission Outage | PGAE | Humboldt | 2021-09-30 | 30 - 45 | No | INC | 24 | 44469 | 44470 | 3.5808 | 83036.26 | 0 | -263.7219 | 0 | 0 | 0 | 0 | 0 | 0
127 | RT | Planned Transmission Outage | PGAE | Kern | 2021-09-16 | 32 - 44 | No | INC | 11 | 44455.3194 | 44455.7396 | -3.0717 | 18805.9467 | 7619.0041 | 172.8966 | 0.83333 | -40.9056 | 0 | 0 | -24.0694 | 0
128 | RT | Planned Transmission Outage | PGAE | Sierra | 2021-09-08 | 46 | No | DEC | 3 | 44447.2083 | 44447.3333 | 6.9025 | 0 | 0 | -430.4681 | 0 | 0 | 0 | 0 | 0 | 0
129 | RT | Planned Transmission Outage | PGAE | Sierra | 2021-09-08 | 46 - 47 | No | INC | 11 | 44447.0347 | 44447.4583 | -3.2246 | 13208.075 | 0 | 201.7271 | 0.115 | -6.6988 | 0 | 0 | -1465.8775 | 0
130 | RT | Planned Transmission Outage | PGAE | Sierra | 2021-09-13 | 42 | No | INC | 4 | 44452.8611 | 44453 | 1.75 | 14294.37 | 0 | -121.3514 | 0 | 0 | 0 | 0 | 0 | 0
131 | RT | Planned Transmission Outage | PGAE | Sierra | 2021-09-15 | 20 | No | INC | 7 | 44454.7465 | 44455 | -63.73 | 11990.8 | 0 | 3824.4046 | 0 | 0 | 0 | 0 | 0 | 0
132 | RT | Planned Transmission Outage | PGAE | Sierra | 2021-09-16 | 20 | No | INC | 24 | 44455 | 44456 | -41.5592 | 12252.28 | 480.3429 | 2438.1152 | 0 | 0 | 0 | 0 | 0 | 0
133 | RT | Planned Transmission Outage | PGAE | Sierra | 2021-09-17 | 20 | Yes | INC | 2 | 44456 | 44456.0833 | 0 | 5932.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
134 | RT | Planned Transmission Outage | PGAE | Sierra | 2021-09-21 | 20 | No | INC | 1 | 44460.9583 | 44461 | 1.8156 | 2496.9 | 0 | -129.0026 | 0 | 0 | 0 | 0 | 0 | 0
135 | RT | Planned Transmission Outage | PGAE | Sierra | 2021-09-22 | 20 | No | DEC | 5 | 44461.6667 | 44461.875 | -11.0023 | 0 | 0 | 662.8141 | 0 | 0 | 0 | 0 | 0 | 0
136 | RT | Planned Transmission Outage | PGAE | Sierra | 2021-09-22 | 20 | No | INC | 23 | 44461 | 44461.9583 | -58.4423 | 12621.9 | 0 | 3902.8635 | 0 | 0 | 0 | 0 | 0 | 0
137 | RT | Planned Transmission Outage | PGAE | Stockton | 2021-09-18 | 60 - 88.8 | No | INC | 4 | 44457.3021 | 44457.4583 | 45.575 | 13820.02 | 25131.04 | -2445.2594 | 54 | -2791.0542 | 0 | 0 | -15467.6697 | 0
138 | RT | Planned Transmission Outage | PGAE | Stockton | 2021-09-20 | 89 | No | INC | 6 | 44459.3264 | 44459.5521 | -7.3771 | 36961.8822 | 0 | 430.1516 | 0 | 0 | 0 | 0 | -9.266 | 0
139 | RT | Planned Transmission Outage | PGAE | Stockton | 2021-09-21 | 89 | No | DEC | 4 | 44460.5417 | 44460.7083 | 19.8644 | 342.0875 | 0 | -3173.7836 | 0 | 0 | 0 | 0 | 0 | 0
140 | RT | Planned Transmission Outage | PGAE | Stockton | 2021-09-21 | 89 | No | INC | 5 | 44460.3333 | 44460.5417 | 10.2534 | 34884.2875 | 0 | -608.3445 | 0 | 0 | 0 | 0 | -11.2784 | 0
141 | RT | Planned Transmission Outage | SCE | NA | 2021-09-13 | 460 | No | DEC | 1 | 44452.8507 | 44452.875 | -12.7868 | 2990.7267 | 0 | 798.5432 | 0 | 0 | 0 | 0 | 0 | 0
142 | RT | Planned Transmission Outage | SCE | NA | 2021-09-13 | 460 | No | INC | 3 | 44452.875 | 44453 | -86.8449 | 32901.3595 | 0 | 5088.745 | 0 | 0 | 0 | 0 | 0 | 0
143 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2021-09-15 | 37 | No | INC | 2 | 44454.9201 | 44455 | 24.6642 | 7133.115 | 1478.24 | -1534.3803 | 0.0775 | -4.8104 | 0 | 0 | -11.8992 | 0
144 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2021-09-16 | 37 | No | INC | 10 | 44455 | 44455.3854 | -0.06 | 44125.7375 | 0 | 1.2664 | 0 | 0 | 0 | 0 | -82.4301 | 0
145 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2021-09-17 | 21 - 36.88 | Yes | INC | 18 | 44456.2535 | 44457 | 28.7808 | 25545.3283 | 1570.4114 | -1685.0901 | 0 | 0 | 0 | 0 | 0 | 0
146 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2021-09-18 | 36.88 | No | INC | 2 | 44457 | 44457.0625 | 0 | 6571.89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
147 | RT | Ramping Capacity | PGAE | Bay Area | 2021-09-08 | 20 | No | DEC | 5 | 44447.6667 | 44447.875 | 16.8503 | 0 | 0 | -2121.8633 | 0 | 0 | 0 | 0 | 0 | 0
148 | RT | Ramping Capacity | PGAE | Bay Area | 2021-09-08 | 20 | No | INC | 1 | 44447.6562 | 44447.6667 | 8.9076 | 0 | 0 | -1621.567 | 0 | 0 | 0 | 0 | 0 | 0
149 | RT | Ramping Capacity | PGAE | Fresno | 2021-09-08 | 6 | No | DEC | 6 | 44447.6875 | 44447.9167 | 2.0723 | 0 | 56.2232 | -1814.498 | 0 | 0 | 0 | 0 | 0 | 0
150 | RT | Ramping Capacity | PGAE | Fresno | 2021-09-09 | 23 | No | INC | 5 | 44448.6979 | 44448.875 | 25.7669 | 18833.68 | 0 | -3877.8931 | 0 | 0 | 0 | 0 | 0 | 0
151 | RT | Ramping Capacity | PGAE | Fresno | 2021-09-23 | 83 | No | DEC | 3 | 44462.7083 | 44462.8333 | -7.507 | 0 | 0 | 537.1681 | 0 | 0 | 0 | 0 | 0 | 0
152 | RT | Ramping Capacity | PGAE | Fresno | 2021-09-23 | 83 | No | INC | 1 | 44462.6701 | 44462.7083 | 261.9441 | 0 | 0 | -16296.4876 | 0 | 0 | 0 | 0 | 0 | 0
153 | RT | Ramping Capacity | SCE | Big Creek-Ventura | 2021-09-05 | 400 | No | INC | 5 | 44444.7292 | 44444.9167 | 0 | 124121.385 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
154 | RT | Ramping Capacity | SCE | Big Creek-Ventura | 2021-09-06 | 410 | No | INC | 6 | 44445.6667 | 44445.9167 | -172.9392 | 237350.865 | 0 | 13284.4161 | 0.61875 | -50.4281 | 0 | 0 | 0 | 0
155 | RT | Ramping Capacity | SCE | Big Creek-Ventura | 2021-09-07 | 401 | No | INC | 2 | 44446.6667 | 44446.75 | -40.4286 | 60970.8 | 0 | 10985.8536 | 0.13125 | -13.7067 | 0 | 0 | 0 | 0
156 | RT | Ramping Capacity | SCE | Big Creek-Ventura | 2021-09-08 | 410 | No | DEC | 5 | 44447.6667 | 44447.875 | 16.2107 | 11749.425 | 0 | -1970.5895 | 0 | 0 | 0 | 0 | 0 | 0
157 | RT | Ramping Capacity | SCE | Big Creek-Ventura | 2021-09-08 | 410 - 750 | No | INC | 7 | 44447.625 | 44447.9167 | -373.4412 | 288327.0575 | 0 | 48866.5572 | 0 | 0 | 0 | 0 | 0 | 0
158 | RT | Ramping Capacity | SCE | Big Creek-Ventura | 2021-09-09 | 401 | No | INC | 7 | 44448.625 | 44448.9167 | -21.521 | 98990.5925 | 0 | 16368.5534 | 0.69188 | -154.5279 | 0 | 0 | 0 | 0
159 | RT | Ramping Capacity | SCE | Big Creek-Ventura | 2021-09-10 | 400.1 | No | INC | 7 | 44449.625 | 44449.9167 | 19.175 | 486629.075 | 0 | -2987.7312 | 0 | 0 | 0 | 0 | 0 | 0
160 | RT | Ramping Capacity | SCE | LA Basin | 2021-09-05 | 190 - 240 | No | INC | 6 | 44444.6667 | 44444.9167 | -102.6493 | 104295.84 | 0 | -5236.1819 | 33.2373 | -2493.4623 | 0 | 0 | 0 | 0
161 | RT | Ramping Capacity | SCE | LA Basin | 2021-09-06 | 190 - 240 | No | INC | 6 | 44445.6667 | 44445.9167 | -471.169 | 104295.84 | 0 | 33421.1798 | 25.2 | -1886.3756 | 0 | 0 | 0 | 0
162 | RT | Ramping Capacity | SCE | LA Basin | 2021-09-07 | 65 - 241 | No | INC | 2 | 44446.6667 | 44446.75 | -66.2518 | 60423.46 | 0 | -74342.3406 | 31.2311 | -3605.9006 | 0 | 0 | 0 | 0
163 | RT | Ramping Capacity | SCE | LA Basin | 2021-09-08 | 65 - 271 | No | DEC | 6 | 44447.625 | 44447.875 | 4.9779 | 0 | 0 | -1039.5137 | 0 | 0 | 0 | 0 | 0 | 0
164 | RT | Ramping Capacity | SCE | LA Basin | 2021-09-08 | 65 - 272 | No | INC | 7 | 44447.625 | 44447.9167 | -833.3268 | 7160.7925 | 0 | 104474.5601 | 20.3479 | -2917.2404 | 0 | 0 | 0 | 0
165 | RT | Ramping Capacity | SCE | LA Basin | 2021-09-09 | 65 - 194 | No | DEC | 7 | 44448.625 | 44448.9167 | 425.0704 | -116992.464 | 0 | -77227.4325 | 0 | 0 | 0 | 0 | 0 | 0
166 | RT | Ramping Capacity | SCE | LA Basin | 2021-09-09 | 190 - 241 | No | INC | 7 | 44448.625 | 44448.9167 | 60.7223 | 0 | 0 | -5034.3053 | 12.008 | -2434.1343 | 0 | 0 | 0 | 0
167 | RT | Ramping Capacity | SCE | LA Basin | 2021-09-10 | 65 - 240 | No | INC | 7 | 44449.625 | 44449.9167 | -301.4477 | 191681 | 0 | 28778.7248 | 11.376 | -1299.9966 | 0 | 0 | 0 | 0
168 | RT | Ramping Capacity | SCE | LA Basin | 2021-09-21 | 190 - 194 | No | INC | 4 | 44460.7292 | 44460.8958 | -196.4015 | 0 | 0 | 18452.7709 | 0.0507 | -5.1724 | 0 | 0 | 0 | 0
169 | RT | Ramping Capacity | SCE | LA Basin | 2021-09-22 | 190 - 194 | No | INC | 6 | 44461.6667 | 44461.9167 | -147.1724 | 0 | 0 | 11624.2076 | 8.0204 | -723.2498 | 0 | 0 | 0 | 0
170 | RT | Ramping Capacity | SCE | LA Basin | 2021-09-23 | 190 - 194 | No | INC | 5 | 44462.6667 | 44462.875 | -65.9562 | 0 | 0 | 1242.722 | 0 | 0 | 0 | 0 | 0 | 0
171 | RT | Reliability Assessment | PGAE | Bay Area | 2021-09-07 | 20 | No | DEC | 1 | 44446.6562 | 44446.6667 | -35.25 | -1239.7933 | 0 | -5370.1062 | 0 | 0 | 0 | 0 | 0 | 0
172 | RT | Reliability Assessment | PGAE | Bay Area | 2021-09-15 | 5 | No | DEC | 1 | 44454.2951 | 44454.3229 | -25.4417 | 0 | 0 | -15830.1789 | -12.5465 | 0 | -3049.3776 | 0 | 0 | 0
173 | RT | Reliability Assessment | PGAE | Humboldt | 2021-09-16 | 30 | No | INC | 6 | 44455.3611 | 44455.5938 | 6.7534 | 16538.7333 | 0 | -268.0919 | 0.3175 | -3.3503 | 0 | 0 | -2.9356 | 0
174 | RT | Reliability Assessment | PGAE | Kern | 2021-09-02 | 32 | No | INC | 2 | 44441.7049 | 44441.7812 | 10.6667 | 4240.4775 | 1232.5922 | -438.8217 | 0 | 0 | 0 | 0 | 0 | 0
175 | RT | Reliability Assessment | PGAE | Kern | 2021-09-09 | 32 | No | INC | 1 | 44448.9167 | 44448.9375 | 10.6396 | 0 | 0 | -992.6732 | 0 | 0 | 0 | 0 | 0 | 0
176 | RT | Reliability Assessment | PGAE | NCNB | 2021-09-12 | 40 | No | DEC | 5 | 44451.3333 | 44451.5417 | -0.71458 | 0 | 0 | -548.6874 | -7.83 | 0 | -115.97 | 0 | 0 | 0
177 | RT | Reliability Assessment | PGAE | NCNB | 2021-09-12 | 40 | No | INC | 7 | 44451.2465 | 44451.5 | -6.264 | 0 | 0 | -41.1544 | -17.2675 | 0 | -259.0125 | 0 | 0 | 0
178 | RT | Reliability Assessment | PGAE | Sierra | 2021-09-01 | 20 | No | INC | 13 | 44440.3854 | 44440.9167 | -13.0983 | 31327.6425 | 519.0502 | 587.1096 | 0 | 0 | 0 | 0 | 0 | 0
179 | RT | Reliability Assessment | PGAE | Sierra | 2021-09-05 | 20 | No | DEC | 2 | 44444.75 | 44444.8333 | -15.725 | 0 | 0 | 717.1512 | 0 | 0 | 0 | 0 | 0 | 0
180 | RT | Reliability Assessment | PGAE | Sierra | 2021-09-05 | 20 | No | INC | 5 | 44444.7361 | 44444.9167 | -37.0875 | 859.1267 | 0 | 2189.3907 | 0 | 0 | 0 | 0 | 0 | 0
181 | RT | Reliability Assessment | PGAE | Sierra | 2021-09-06 | 20 | No | DEC | 6 | 44445.6667 | 44445.9167 | -21.4664 | 0 | 0 | 1330.9138 | 0 | 0 | 0 | 0 | 0 | 0
182 | RT | Reliability Assessment | PGAE | Sierra | 2021-09-06 | 20 | No | INC | 9 | 44445.6528 | 44446 | 12.0494 | 9450.3933 | 0 | -841.3559 | 0 | 0 | 0 | 0 | 0 | 0
183 | RT | Reliability Assessment | PGAE | Sierra | 2021-09-07 | 20 | No | INC | 2 | 44446 | 44446.0833 | -2.1883 | 4321.3 | 0 | 123.9562 | 0 | 0 | 0 | 0 | 0 | 0
184 | RT | Reliability Assessment | PGAE | Sierra | 2021-09-10 | 14 - 30 | No | DEC | 3 | 44449.75 | 44449.875 | -47.7041 | 0 | 125.775 | 3301.1642 | -14.625 | 0 | 1131.9557 | 0 | 0 | 0
185 | RT | Reliability Assessment | PGAE | Sierra | 2021-09-10 | 20 | No | INC | 11 | 44449.4826 | 44449.9167 | -45.2183 | 5692.7 | 310.9438 | 2647.7687 | 0 | 0 | 0 | 0 | 0 | 0
186 | RT | Reliability Assessment | PGAE | Sierra | 2021-09-11 | 20 | No | DEC | 3 | 44450.8229 | 44450.9167 | -41.4 | 0 | 0 | 2477.8832 | 0 | 0 | 0 | 0 | 0 | 0
187 | RT | Reliability Assessment | PGAE | Sierra | 2021-09-12 | 20 | No | INC | 6 | 44451.6458 | 44451.8854 | -3.5077 | 13422.645 | 548.66 | -675.2472 | 0 | 0 | 0 | 0 | 0 | 0
188 | RT | Reliability Assessment | PGAE | Sierra | 2021-09-13 | 20 | No | DEC | 7 | 44452.6632 | 44452.9167 | -29.2837 | 0 | 0 | 1921.0039 | 0 | 0 | 0 | 0 | 0 | 0
189 | RT | Reliability Assessment | PGAE | Sierra | 2021-09-13 | 20 | No | INC | 11 | 44452.5694 | 44453 | -56.7451 | 26374.32 | 0 | 3735.4504 | 0 | 0 | 0 | 0 | 0 | 0
190 | RT | Reliability Assessment | PGAE | Sierra | 2021-09-14 | 20 - 47 | No | DEC | 4 | 44453.7083 | 44453.875 | -24.0713 | 0 | 0 | 1773.6961 | 0 | 0 | 0 | 0 | 0 | 0
191 | RT | Reliability Assessment | PGAE | Sierra | 2021-09-14 | 20 - 42 | Yes | INC | 24 | 44453 | 44454 | -14.9493 | 83112.29 | 0 | 954.4891 | 0 | 0 | 0 | 0 | 0 | 0
192 | RT | Reliability Assessment | PGAE | Sierra | 2021-09-15 | 20 | No | INC | 1 | 44454 | 44454.0417 | 0.84906 | 2997.7 | 0 | -69.7166 | 0 | 0 | 0 | 0 | 0 | 0
193 | RT | Reliability Assessment | PGAE | Sierra | 2021-09-21 | 42 | No | DEC | 4 | 44460.625 | 44460.7917 | 38.7192 | 0 | 0 | -3573.3937 | 0 | 0 | 0 | 0 | 0 | 0
194 | RT | Reliability Assessment | PGAE | Sierra | 2021-09-21 | 42 | No | INC | 3 | 44460.7917 | 44460.9167 | -2 | 5079.79 | 0 | 188.908 | 0 | 0 | 0 | 0 | 0 | 0
195 | RT | Reliability Assessment | PGAE | Sierra | 2021-09-24 | 20 | No | DEC | 1 | 44463.75 | 44463.7917 | -11.4194 | 0 | 67.9943 | 699.372 | 0 | 0 | 0 | 0 | 0 | 0
196 | RT | Reliability Assessment | PGAE | Sierra | 2021-09-24 | 20 | No | INC | 6 | 44463.7465 | 44463.9583 | -6.7873 | 5926.1875 | 277.6433 | 468.3201 | 0 | 0 | 0 | 0 | 0 | 0
197 | RT | Reliability Assessment | PGAE | Sierra | 2021-09-25 | 20 | No | DEC | 2 | 44464.75 | 44464.8333 | 5.9764 | 0 | 0 | -447.0884 | 0 | 0 | 0 | 0 | 0 | 0
198 | RT | Reliability Assessment | PGAE | Sierra | 2021-09-25 | 20 | No | INC | 15 | 44464.309 | 44464.9167 | 59.301 | 47380.5383 | 463.9232 | -4753.344 | 0 | 0 | 0 | 0 | 0 | 0
199 | RT | Reliability Assessment | PGAE | Sierra | 2021-09-26 | 20 | No | INC | 8 | 44465.6667 | 44466 | -0.57583 | 22406.56 | 328.5494 | -202.0998 | 0 | 0 | 0 | 0 | 0 | 0
200 | RT | Reliability Assessment | PGAE | Stockton | 2021-09-05 | 88.8 | No | INC | 7 | 44444.625 | 44444.9167 | 18.815 | 44514.95 | 0 | -1324.6572 | 0 | 0 | 0 | 0 | 0 | 0
201 | RT | Reliability Assessment | PGAE | Stockton | 2021-09-14 | 20 - 55 | No | INC | 6 | 44453.6875 | 44453.9167 | -2.5667 | 0 | 0 | -1276.2061 | 16.6667 | -1987.5233 | 0 | 0 | 0 | 0
202 | RT | Reliability Assessment | SCE | NA | 2021-09-07 | 430 | No | INC | 3 | 44446.8993 | 44447 | -68.2663 | -10567.81 | 0 | 4529.6236 | 0 | 0 | 0 | 0 | 0 | 0
203 | RT | Reliability Assessment | SCE | NA | 2021-09-08 | 430 | No | INC | 2 | 44447 | 44447.0833 | -11.0221 | -40307.8 | 0 | 599.045 | 0 | 0 | 0 | 0 | 0 | 0
204 | RT | Reliability Assessment | SCE | NA | 2021-09-11 | 450 | No | DEC | 1 | 44450.8542 | 44450.875 | 18.9897 | 0 | 0 | -1076.0224 | 0 | 0 | 0 | 0 | 0 | 0
205 | RT | Reliability Assessment | SCE | NA | 2021-09-11 | 450 | No | INC | 3 | 44450.875 | 44450.9792 | 26.5682 | 3373.21 | 0 | -1701.0806 | 0 | 0 | 0 | 0 | 0 | 0
206 | RT | Reliability Assessment | SDGE | San Diego-IV | 2021-09-11 | 25 | No | DEC | 2 | 44450.6667 | 44450.75 | -3.415 | 26.58 | 298.2 | -522.2416 | 0 | 0 | 0 | 0 | 0 | 0
207 | RT | Reliability Assessment | SDGE | San Diego-IV | 2021-09-11 | 25 | No | INC | 7 | 44450.6632 | 44450.9167 | -24.1444 | 8072.755 | 608.825 | 2183.864 | 0 | 0 | 0 | 0 | 0 | 0
208 | RT | Software Limitation | PGAE | Fresno | 2021-09-01 | 83 | Yes | INC | 2 | 44440.1771 | 44440.25 | 14.9967 | 31088.505 | 0 | -1599.6825 | 0 | 0 | 0 | 0 | 0 | 0
209 | RT | Software Limitation | PGAE | Fresno | 2021-09-15 | 83 | No | INC | 11 | 44454.2917 | 44454.75 | 1489.4247 | 85328.8724 | 0 | -74501.4905 | 1535.155 | -80089.2332 | 2943.1192 | 0 | 0 | 0
210 | RT | Software Limitation | SCE | Big Creek-Ventura | 2021-09-05 | 0 | No | INC | 9 | 44444.6562 | 44445 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
211 | RT | Software Limitation | SCE | Big Creek-Ventura | 2021-09-06 | 0 | No | INC | 6 | 44445 | 44445.2396 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
212 | RT | Software Limitation | SCE | Big Creek-Ventura | 2021-09-09 | 610 - 750 | No | INC | 5 | 44448.6632 | 44448.8333 | 265.4274 | 329391.235 | 0 | -61548.7289 | 172.491 | -38430.6631 | 0 | 0 | 0 | 0
213 | RT | Unit Testing | PGAE | NCNB | 2021-09-03 | 72 | No | INC | 1 | 44442.2674 | 44442.2847 | 6.3958 | 0 | 0 | -339.6959 | 0 | 0 | 0 | 0 | 0 | 0
214 | RT | Unit Testing | SCE | Big Creek-Ventura | 2021-09-14 | 750 | No | INC | 1 | 44453.625 | 44453.6667 | 16.35 | 0 | 0 | -846.8079 | 0 | 0 | 0 | 0 | 0 | 0
215 | RT | Unit Testing | SCE | Big Creek-Ventura | 2021-09-16 | 43 | No | INC | 1 | 44455.6424 | 44455.6701 | 24.1875 | 0 | 0 | -1200.3987 | 24.6354 | -1219.9833 | 0 | 0 | 0 | 0
216 | RT | Unit Testing | SCE | LA Basin | 2021-09-01 | 1 | No | INC | 1 | 44440.8368 | 44440.8611 | 0.57813 | 0 | 0 | -33.6439 | 0 | 0 | 0 | 0 | 0 | 0
217 | RT | Unit Testing | SCE | LA Basin | 2021-09-22 | 27 | No | INC | 1 | 44461.7674 | 44461.7986 | 15.4135 | 11403.6375 | 0 | -1488.8502 | 2.5833 | -250.4933 | 0 | 0 | 0 | 0
218 | RT | Unit Testing | SCE | LA Basin | 2021-09-23 | 98 | No | DEC | 1 | 44462.75 | 44462.7535 | 3.3333 | 0 | 0 | -260.5517 | 3.3333 | -260.5517 | 0 | 0 | 0 | 0
219 | RT | Unit Testing | SCE | LA Basin | 2021-09-23 | 98 | No | INC | 1 | 44462.7396 | 44462.75 | 7.2913 | 0 | 0 | -562.6343 | 3.3333 | -260.5517 | 0 | 0 | 0 | 0
220 | RT | Unit Testing | SCE | LA Basin | 2021-09-28 | 120.1 | No | INC | 1 | 44467.0278 | 44467.0486 | 25.05 | 0 | 0 | -2164.32 | 25.05 | -2164.32 | 0 | 0 | 0 | 0
221 | RT | Unit Testing | SDGE | San Diego-IV | 2021-09-08 | 24 | No | INC | 1 | 44447.8924 | 44447.9167 | -2.8 | 0 | 0 | 343.6171 | 0 | 0 | 0 | 0 | 0 | 0
222 | RT | Voltage Support | PGAE | Sierra | 2021-09-04 | 20 | No | DEC | 1 | 44443.8125 | 44443.8333 | 0.975 | 0 | 0 | -71.3024 | 0 | 0 | 0 | 0 | 0 | 0
223 | RT | Voltage Support | PGAE | Sierra | 2021-09-04 | 20 | No | INC | 4 | 44443.8333 | 44444 | -60.0875 | 10259.52 | 0 | 3405.2796 | 0 | 0 | 0 | 0 | 0 | 0
224 | RT | Voltage Support | PGAE | Sierra | 2021-09-05 | 20 | No | INC | 1 | 44444 | 44444.0417 | 0 | 2577.38 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
225 | RT | Voltage Support | PGAE | Sierra | 2021-09-18 | 20 | No | INC | 17 | 44457.309 | 44458 | -6.6017 | 73806.2325 | 1145.32 | 341.4115 | 0 | 0 | 0 | 0 | 0 | 0
226 | RT | Voltage Support | PGAE | Sierra | 2021-09-19 | 20 | No | INC | 20 | 44458 | 44458.8333 | 68.8817 | 107354.52 | 0 | -19191.1226 | 0 | 0 | 0 | 0 | 0 | 0
227 | RT | Voltage Support | PGAE | Sierra | 2021-09-20 | 20 | No | INC | 6 | 44459.0035 | 44459.25 | 10 | 16401.385 | 603.21 | -498.0771 | 0 | 0 | 0 | 0 | 0 | 0
228 | RT | Voltage Support | PGAE | Sierra | 2021-09-26 | 20 | No | INC | 6 | 44465.4375 | 44465.6667 | 10 | 14704.305 | 215.6106 | -484.0502 | 0 | 0 | 0 | 0 | 0 | 0
229 | RT | Voltage Support | PGAE | Sierra | 2021-09-28 | 20 | No | INC | 6 | 44467.4896 | 44467.7083 | 5 | 15787.1175 | 620.95 | -60.7315 | 0 | 0 | 0 | 0 | 0 | 0

## Price_Impact_A
Table 8: Price Impact Analysis Information for Pricing Node A in PGAE LAP
Number | Trade Date | Trade Hour | Interval | Market LMP | Eligible Flag | Calculated LMP | Change in LMP
1 | 2021-09-05 | 16 | 7 | 52.4207 | Yes | 61.58 | 9.1593
2 | 2021-09-05 | 16 | 8 | 55.7229 | Yes | 61.58 | 5.8571
3 | 2021-09-05 | 16 | 9 | 59.0884 | Yes | 61.58 | 2.4916

## Price_Impact_B
Table 9: Price Impact Analysis Information for Pricing Node B in SCE LAP
Number | Trade Date | Trade Hour | Interval | Market LMP | Eligible Flag | Calculated LMP | Change in LMP
1 | 2021-09-11 | 19 | 8 | 99.4983 | Yes | 45.89 | -53.6083
2 | 2021-09-11 | 19 | 9 | 109.8936 | Yes | 45.89 | -64.0036
3 | 2021-09-11 | 19 | 10 | 98.6222 | Yes | 45.89 | -52.7322
4 | 2021-09-11 | 19 | 11 | 98.0388 | Yes | 45.89 | -52.1488
5 | 2021-09-11 | 19 | 12 | 77.3977 | Yes | 45.89 | -31.5077
6 | 2021-09-11 | 20 | 1 | 85.227 | Yes | 45.98 | -39.247
7 | 2021-09-11 | 20 | 2 | 79.2226 | Yes | 45.98 | -33.2426
8 | 2021-09-11 | 20 | 3 | 75.6676 | Yes | 45.98 | -29.6876
9 | 2021-09-11 | 20 | 4 | 75.0705 | Yes | 45.98 | -29.0905
10 | 2021-09-11 | 20 | 5 | 72.464 | Yes | 45.98 | -26.484
11 | 2021-09-11 | 20 | 6 | 70.0975 | Yes | 45.98 | -24.1175
12 | 2021-09-11 | 20 | 7 | 70.9452 | Yes | 45.98 | -24.9652
13 | 2021-09-11 | 20 | 8 | 66.9096 | Yes | 45.98 | -20.9296
14 | 2021-09-11 | 20 | 9 | 63.2523 | Yes | 45.98 | -17.2723
15 | 2021-09-11 | 20 | 10 | 61.045 | Yes | 45.98 | -15.065
16 | 2021-09-11 | 20 | 11 | 60.2841 | Yes | 45.98 | -14.3041
17 | 2021-09-11 | 20 | 12 | 58.0837 | Yes | 45.98 | -12.1037
18 | 2021-09-11 | 21 | 1 | 63.1743 | Yes | 46.05 | -17.1243
19 | 2021-09-11 | 21 | 2 | 61.1376 | Yes | 46.05 | -15.0876
20 | 2021-09-11 | 21 | 3 | 60.2679 | Yes | 46.05 | -14.2179
21 | 2021-09-11 | 21 | 4 | 61.2167 | Yes | 46.05 | -15.1667
22 | 2021-09-11 | 21 | 5 | 60.667 | Yes | 46.05 | -14.617
23 | 2021-09-11 | 21 | 6 | 59.9448 | Yes | 46.05 | -13.8948
24 | 2021-09-11 | 21 | 7 | 60.5962 | Yes | 46.05 | -14.5462
25 | 2021-09-11 | 21 | 8 | 60.2578 | Yes | 46.05 | -14.2078
26 | 2021-09-11 | 21 | 9 | 60.5286 | Yes | 46.05 | -14.4786
27 | 2021-09-11 | 21 | 10 | 59.2319 | Yes | 46.05 | -13.1819
28 | 2021-09-11 | 21 | 11 | 59.8133 | Yes | 46.05 | -13.7633
29 | 2021-09-11 | 21 | 12 | 59.2319 | Yes | 46.05 | -13.1819
30 | 2021-09-11 | 22 | 1 | 81.3551 | Yes | 46.13 | -35.2251
31 | 2021-09-11 | 22 | 2 | 75.821 | Yes | 46.13 | -29.691
32 | 2021-09-11 | 22 | 3 | 76.3623 | Yes | 46.13 | -30.2323
33 | 2021-09-11 | 22 | 4 | 66.8357 | Yes | 46.13 | -20.7057
34 | 2021-09-11 | 22 | 5 | 64.4639 | Yes | 46.13 | -18.3339
35 | 2021-09-11 | 22 | 6 | 64.6421 | Yes | 46.13 | -18.5121
36 | 2021-09-11 | 22 | 7 | 65.0759 | Yes | 46.13 | -18.9459
37 | 2021-09-11 | 22 | 8 | 61.5769 | Yes | 46.13 | -15.4469
38 | 2021-09-11 | 22 | 9 | 60.868 | Yes | 46.13 | -14.738
39 | 2021-09-11 | 22 | 10 | 60.2775 | Yes | 46.13 | -14.1475
40 | 2021-09-11 | 22 | 11 | 60.295 | Yes | 46.13 | -14.165
41 | 2021-09-11 | 22 | 12 | 61.5992 | Yes | 46.13 | -15.4692
42 | 2021-09-11 | 23 | 1 | 71.9166 | Yes | 46.22 | -25.6966
43 | 2021-09-11 | 23 | 2 | 72.8469 | Yes | 46.22 | -26.6269
44 | 2021-09-11 | 23 | 3 | 81.3587 | Yes | 46.22 | -35.1387
45 | 2021-09-11 | 23 | 4 | 82.6336 | Yes | 46.22 | -36.4136
46 | 2021-09-11 | 23 | 5 | 78.5113 | Yes | 46.22 | -32.2913
47 | 2021-09-11 | 23 | 6 | 72.8787 | Yes | 46.22 | -26.6588
48 | 2021-09-11 | 23 | 7 | 71.4183 | Yes | 46.22 | -25.1983
49 | 2021-09-11 | 23 | 8 | 65.7659 | Yes | 46.22 | -19.5459
50 | 2021-09-11 | 23 | 9 | 63.4775 | Yes | 46.22 | -17.2575
51 | 2021-09-11 | 23 | 10 | 61.292 | Yes | 46.22 | -15.072
52 | 2021-09-11 | 23 | 11 | 60.7534 | Yes | 46.22 | -14.5334
53 | 2021-09-11 | 23 | 12 | 60.3068 | Yes | 46.22 | -14.0868
54 | 2021-09-11 | 24 | 1 | 65.2334 | Yes | 46.25 | -18.9834
55 | 2021-09-11 | 24 | 2 | 65.2523 | Yes | 46.25 | -19.0023
56 | 2021-09-11 | 24 | 3 | 61.5138 | Yes | 46.25 | -15.2638
57 | 2021-09-11 | 24 | 4 | 59.5759 | Yes | 46.25 | -13.3259
58 | 2021-09-11 | 24 | 5 | 63.9454 | Yes | 46.25 | -17.6954
59 | 2021-09-11 | 24 | 6 | 63.6411 | Yes | 46.25 | -17.3911
60 | 2021-09-11 | 24 | 7 | 65.8413 | Yes | 46.25 | -19.5913
61 | 2021-09-11 | 24 | 8 | 61.1109 | Yes | 46.25 | -14.8609
62 | 2021-09-11 | 24 | 9 | 61.1109 | Yes | 46.25 | -14.8609
63 | 2021-09-11 | 24 | 10 | 59.3901 | Yes | 46.25 | -13.1401
64 | 2021-09-11 | 24 | 11 | 59.4273 | Yes | 46.25 | -13.1773
65 | 2021-09-11 | 24 | 12 | 58.9579 | Yes | 46.25 | -12.7079
66 | 2021-09-12 | 1 | 1 | 77.2212 | Yes | 43.18 | -34.0412
67 | 2021-09-12 | 1 | 2 | 76.0584 | Yes | 43.18 | -32.8784
68 | 2021-09-12 | 1 | 3 | 70.6495 | Yes | 43.18 | -27.4694
69 | 2021-09-12 | 1 | 4 | 70.6314 | Yes | 43.18 | -27.4514
70 | 2021-09-12 | 1 | 5 | 65.6527 | Yes | 43.18 | -22.4728
71 | 2021-09-12 | 1 | 6 | 68.7393 | Yes | 43.18 | -25.5593
72 | 2021-09-12 | 1 | 7 | 61.9192 | Yes | 43.18 | -18.7392
73 | 2021-09-12 | 1 | 8 | 62.8395 | Yes | 43.18 | -19.6595
74 | 2021-09-12 | 1 | 9 | 61.2597 | Yes | 43.18 | -18.0797
75 | 2021-09-12 | 1 | 10 | 57.6522 | Yes | 43.18 | -14.4722
76 | 2021-09-12 | 1 | 11 | 56.0185 | Yes | 43.18 | -12.8385
77 | 2021-09-12 | 1 | 12 | 54.3057 | Yes | 43.18 | -11.1257
78 | 2021-09-17 | 16 | 3 | 54.8112 | Yes | 43.29 | -11.5212
79 | 2021-09-17 | 16 | 4 | 55.6942 | Yes | 43.29 | -12.4042
80 | 2021-09-17 | 16 | 5 | 55.7067 | Yes | 43.29 | -12.4167
81 | 2021-09-17 | 16 | 6 | 63.6932 | Yes | 43.29 | -20.4032
82 | 2021-09-17 | 16 | 7 | 65.6865 | Yes | 43.29 | -22.3965
83 | 2021-09-17 | 16 | 8 | 69.6381 | Yes | 43.29 | -26.3481
84 | 2021-09-17 | 16 | 9 | 58.5849 | Yes | 43.29 | -15.2949
85 | 2021-09-17 | 16 | 10 | 62.4516 | Yes | 43.29 | -19.1616
86 | 2021-09-17 | 16 | 11 | 69.6455 | Yes | 43.29 | -26.3555
87 | 2021-09-17 | 16 | 12 | 65.3064 | Yes | 43.29 | -22.0164
88 | 2021-09-17 | 17 | 1 | 51.2893 | Yes | 43.31 | -7.9793
89 | 2021-09-17 | 17 | 2 | 45.8371 | Yes | 43.31 | -2.5271
90 | 2021-09-17 | 17 | 3 | 43.9316 | Yes | 43.31 | -0.62159
91 | 2021-09-17 | 17 | 4 | 49.1763 | Yes | 43.31 | -5.8663
92 | 2021-09-17 | 17 | 5 | 50.7223 | Yes | 43.31 | -7.4123
93 | 2021-09-17 | 17 | 6 | 55.4076 | Yes | 43.31 | -12.0976
94 | 2021-09-17 | 17 | 7 | 68.5134 | Yes | 43.31 | -25.2034
95 | 2021-09-17 | 17 | 8 | 64.255 | Yes | 43.31 | -20.945
96 | 2021-09-17 | 17 | 9 | 69.6351 | Yes | 43.31 | -26.3251
97 | 2021-09-17 | 17 | 10 | 83.3711 | Yes | 43.31 | -40.0611
98 | 2021-09-17 | 17 | 11 | 83.4759 | Yes | 43.31 | -40.1659
99 | 2021-09-17 | 17 | 12 | 74.1286 | Yes | 43.31 | -30.8186
100 | 2021-09-17 | 18 | 1 | 47.2866 | Yes | 43.42 | -3.8666
101 | 2021-09-17 | 18 | 2 | 48.8397 | Yes | 43.42 | -5.4197
102 | 2021-09-17 | 18 | 3 | 50.9966 | Yes | 43.42 | -7.5766
103 | 2021-09-17 | 18 | 4 | 54.7237 | Yes | 43.42 | -11.3037
104 | 2021-09-17 | 18 | 5 | 58.1942 | Yes | 43.42 | -14.7742
105 | 2021-09-17 | 18 | 6 | 68.2976 | Yes | 43.42 | -24.8776
106 | 2021-09-17 | 18 | 7 | 66.5971 | Yes | 43.42 | -23.1771
107 | 2021-09-17 | 18 | 8 | 69.0451 | Yes | 43.42 | -25.6251
108 | 2021-09-17 | 18 | 9 | 69.8593 | Yes | 43.42 | -26.4393
109 | 2021-09-17 | 18 | 10 | 69.4035 | Yes | 43.42 | -25.9835

## Bid_Mitigation
Table 10: Exceptional Dispatch Bid Mitigation Analysis Information
Type | Number of Resources | Costs without Bid Mitigation | Costs with Bid Mitigation | Cost Savings
NONTMOD | 4 | 25629.13 | 323.71 | 25305.42
NONTMOD | 1 | 1541.67 | 216.54 | 1325.12
Total | 5 | 27170.8 | 540.25 | 26630.54