## User guide
Description
The data contains resource sufficiency evaluation (RSE) and 5-minute market (RTD) load and variable energy resource (VER) amounts during December 2021.
Notes
• Intervals with missing data were removed.
Variables
| RTBS run: | Resource sufficiency evaluation run (only RTBS_3). RTBS_3 is the final test at T-40 minutes prior to the hour.
| Date: | Date.
| Weekday type: | Weekday type, either Weekday or Weekend. Note that the upward and downward uncertainty used in the test is based on separate weekday (previous 40 weekdays) and weekend (previous 20 weekend dates) distributions.
| Hour: | Hour.
| RSE interval: | Resource sufficiency evaluation interval (15-mintue intervals).
| RTD interval: | 5-minute market interval.
| BAA: | Balancing authority area.
| RSE load forecast: | Resource sufficiency evaluation load forecast. This is used directly in the bid range capacity test.
| RTD load forecast: | 5-minute market load forecast. This is the raw load forecast and therefore does not include any operator imbalance conformance adjustment.
| Load error: | Load error from resource sufficiency evaluation interval to 5-minute market interval. Positive amount reflects an increase in net load because of a increase in load in the 5-minute market.
| Capacity test VER: | Total bid range capacity test VER amount. The upward capacity test pulls base schedules for resources and incremental (positive) bid-in capacity relative to those base schedules. Any incremental capacity for VER resources is based on the forecast from the RTBS_2 run (T-55). This variable reflects the total of base schedules and any incremental capacity for VER resources.
| RTD VER forecast: | 5-minute market VER forecasts.
| VER error: | Negative of the VER error from resource sufficiency evaluation interval to 5-minute market interval. Positive amount reflects a increase in net load because of a decrease in renewables in the 5-minute market.
| Net load error: | Net load error from resource sufficiency evaluation interval to 5-minute market interval. Positive amount reflects an increase in net load in the 5-minute market.
| Upward uncertainty: | Upward uncertainty from historical net load error. The 97.5th percentile of the histogram net load error is used for upward uncertainty.
| Downward uncertainty: | Downward uncertainty from historical net load error. The 2.5th percentile of the histogram net load error is used for downward uncertainty.
| DISCLAIMER: | With ISO's approval, DMM is releasing this data in response to market participant requests submitted in the ISO's EIM Resource Sufficiency Evaluation Enhancements stakeholder initiative. The ISO does not warrant the accuracy or completeness of this data. This data cannot be republished without obtaining prior written consent of the ISO. CAISO - Public