INFORMATION REQUEST SHEET:   UDCOA

CAISO Tariff Appendix B.8

To initiate a Utility Distribution Company Operating Agreement, please fill in the information requested below (all pages) and return this information sheet and all associated schedules and supporting documents to RegulatoryContracts@caiso.com.  A Contract Negotiator will be assigned to assist you.

PLEASE SUBMIT THIS FORM IN WORD FORMAT

All information must be complete before an agreement can be processed.

| Full legal name of company (agreement holder) | (Please verify legal spelling of name including capitalization and punctuation) |
| --- | --- |
| Legal street address |  |
| Name of primary representative |  |
| Title |  |
| Company |  |
| Address (Street address is required) |  |
| City/State/Zip code |  |
| Email address |  |
| Phone |  |
| Fax |  |
| Name of alternative representative |  |
| Title |  |
| Company |  |
| Address (Street address is required) |  |
| City/State/Zip code |  |
| Email address |  |
| Phone |  |
| Fax |  |

REQUIRED FOR ELECTRONIC SIGNATURE PROCESS:

| Name of signatory |  |
| --- | --- |
| Email address |  |

SCHEDULE 1

FACILITIES UNDER CAISO CONTROL

The UDC will supply a list of UDC facilities that are placed under the Operational Control of the CAISO in Schedule 1.

There are no UDC facilities to be listed here at present.

SCHEDULE 2

OPERATIONAL CONTACT

CAISO:

Transmission Dispatcher

(Folsom):

Transmission Dispatcher

(Alhambra):

Shift Supervisor:

Director of Grid Operations:

City/State/Zip Code:

Other CAISO Dispatch

Operations Phones:

Generation Dispatcher

(Folsom):

Generation Dispatcher

(Alhambra):

UDC:

Name of Primary

Representative:

Title:

Company:

Address:

City/State/Zip Code

Email address:

Phone:

Fax:

Name of Alternative

Representative:

Title:

Company:

Address:

City/State/Zip Code

Email address:

Phone:

Fax:

CONTACTS FOR NOTICES

UDC

Name of Primary

Representative:

Title:

Company:

Address:

City/State/Zip Code

Email address:

Phone:

Fax:

Name of Alternative

Representative:

Title:

Company:

Address:

City/State/Zip Code

Email address:

Phone:

Fax:

CAISO

- Name of Primary

Representative:		Regulatory Contracts

Title:				N/A

Address:			250 Outcropping Way

City/State/Zip Code:		Folsom, CA  95630

Email address:		RegulatoryContracts@caiso.com

Phone:			(916) 608-7027

Fax:				(916) 608-5063

- Name of Alternative

Representative:		Christopher J. Sibley

Title:				Lead Contracts Negotiator

Address:			250 Outcropping Way

City/State/Zip Code:		Folsom, CA  95630

Email address:		csibley@caiso.com

Phone:			(916) 608-7030

Fax:				(916) 608-5063

SCHEDULE 3

DELEGATED OPERATIONAL RESPONSIBILITIES

Currently the CAISO has not delegated any operational responsibilities to the UDC in accordance with Section 4.4.1 of the CAISO Tariff.  If such a delegation occurs, they will be identified in this Schedule 3.

SCHEDULE 4

MAINTENANCE COORDINATION

By October 1st of each year, the UDC will exchange with the CAISO a provisional planned Outage program for all lines and equipment in Schedule 1.  That document will be updated quarterly or as changes occur to the proposed schedule.

The CAISO will approve all Outages on equipment and lines transferred to CAISO Operational Control.

Applications for scheduled work will be submitted to the CAISO by      ’s Grid Operations group via means to be agreed to by both Parties.  The UDC documents will record the details for all work and become the data base for reporting and recording Outage information.

SCHEDULE 5

SYSTEM EMERGENCIES

The CAISO will notify the UDC's operational contact (Operations Shift Supervisor - Grid Control), as identified in Schedule 2, of the emergency, including information regarding the cause, nature, extent, and potential duration of the emergency.  The Operations Shift Supervisor will add any relevant data and will notify Distribution Operations.  Distribution Operations will make the appropriate notifications within the UDC organization.  The Operations Shift Supervisor and Distribution Control Shift Supervisor will then take such actions as are appropriate for the emergency.

The UDC will make requests for information from the CAISO regarding emergencies through the Operations Shift Supervisor, or the UDC Communication Coordinator may coordinate public information with the CAISO Communication Coordinator.

The UDC is required to estimate service restoration by geographic areas, and will use its call center and the media to communicate with customers during service interruptions.  The UDC is also required to communicate the same information to appropriate state and local governmental entities.  For transmission system caused outages the Operations Shift Supervisor will notify Distribution Operations Control Center of any information related to the outage such as cause, nature, extent, potential duration and customers affected.

Distribution Control and Grid Control Center logs, Electric Switching Orders and Energy Management System temporal data base will be used in preparation of outage reviews.  These documents are defined as the chronological record of the operation of the activities which occur with the portion of the electrical system assigned to that control center.  The log shall contain all pertinent information, including orders received and transmitted, relay operations, messages, clearances, accidents, trouble reports, daily switching program, etc.

The UDC will retain records in accordance with its record retention policy or practice, provided the records associated with this Operating Agreement are retained for a minimum of six years.

SCHEDULE 6

UNDERFREQUENCY LOAD SHEDDING

The objective of the Underfrequency Load Shedding (UFLS) program is to provide security and protection to the interconnected bulk power network by arresting frequency decay during periods of insufficient resources.

This plan establishes Underfrequency Load Shedding objectives consistent with the Load Shedding policies of the Western Electricity Coordinating Council, the North American Electric Reliability Corporation and the UDC.  The UDC’s Load Shedding program will be in accordance with the WECC Off-nominal Frequency Report requirements.

SCHEDULE 7

OTHER AUTOMATIC LOAD SHEDDING

In addition to underfrequency relay load reduction, any undervoltage relay protection that is utilized in the UDC will be identified in the Attachment to this Schedule 7.

SCHEDULE 8

MANUAL LOAD SHEDDING

[Note:  Schedule 8 will detail the criteria governing the implementation of manual Load Shedding and/or interruptible Loads, and will describe the UDC’s means of effecting Load Shedding and the estimated associated MW values of various UDC Loads to be shed.  For Load curtailment programs Schedule 8 will also contain the UDC’s capabilities until October 1 and thereafter annually.]

SCHEDULE 8A

ROTATING LOAD CURTAILMENT PROCEDURES

SCHEDULE 8B

INTERRUPTIBLE LOAD

SCHEDULE 9

ELECTRICAL EMERGENCY PLAN

The CAISO Specifications will outline the basic criteria for the development, coordination, and implementation of the UDC EEP and the requirements for coordination with the CAISO EEP.  Schedule 9 will include the UDC EEP as coordinated with the CAISO EEP.

SCHEDULE 10

LOAD RESTORATION

The UDC will follow the procedures set forth below in this Schedule 10 in promoting orderly, coordinated restoration of electric systems after a major system disturbance has occurred which resulted in Load Shedding by frequency relays in California.

- Immediately after Load Shedding by frequency relay has occurred in the UDC, the UDC will remain in contact with its respective Participating Transmission Owner (PTO) Area Control Center (ACC) until normal frequency has been restored throughout the CAISO Balancing Authority Area or the CAISO Shift Supervisor has concluded that such full-time communications can be terminated.  Emergency communications over the California ACC Hot-line will be under the direction of the CAISO Shift Supervisor and the senior dispatcher present at the affected PTO ACC(s).

- Manual Load restoration will not normally be initiated until the California ACC Hot Line is attended.  No Load is to be manually restored unless directed by the CAISO after the frequency has recovered and there is indication that the frequency can be maintained.  The UDC will await direction from its respective PTO ACC who will be in contact with the CAISO Shift Supervisor.  The CAISO Shift Supervisor will determine whether adequate generation resources are available on line to support the Load to be restored.

- Any UDC automatic Load restoration will be consistent with the WECC Coordinated Off-Nominal Frequency Load Shedding and Restoration Plan.

- If the CAISO cannot meet the WECC and NERC Balancing Authority Area Disturbance Control Standard or the Control Performance Standard post disturbance, no manual Load restoration will be permitted.  If the frequency is such that automatic Load restoration occurs under these conditions, the UDC(s) which has restored Load automatically will manually shed an equivalent amount of Load to offset the Load which was automatically restored.

- Restoration of ties and off-site power supply to nuclear generating facilities should be given top priority.  Manual Load restoration will be deferred during periods of tie restoration.  The UDC should be equipped and prepared to drop Load manually when necessary to allow frequency recovery sufficient to re-establish CAISO intra-area ties and Interties between the CAISO Balancing Authority Area and outside systems.  Where manual Load Shedding is required, the CAISO shall make reasonable efforts to allocate the Load Shedding requirement equitably among the UDCs where Load Shedding will be beneficial.

- The UDC will use its existing plans and priorities to restore Load within the parameters given by the CAISO, giving the appropriate priority to essential services such as military, public safety agencies, water treatment plants, sewage treatment plants, etc.

SCHEDULE 11

RECORDS, INFORMATION, REPORTS

The CAISO and UDC will jointly develop any necessary forms and procedures for collection, study and transmittal of system data, information, reports, and forecasts.

SCHEDULE 12

INTERCONNECTION OPERATION STANDARDS

The CAISO and UDC shall jointly maintain stable operating parameters and control power and reactive flow in accordance with the CAISO Tariff and the following Interconnection Operation Standards.

UDC Responsibilities

1.0	The UDC shall operate its facilities at each point of interconnection with the CAISO Controlled Grid in such manner as to avoid any material or adverse impact on the CAISO Controlled Grid.  In accordance with this performance goal, the UDC shall:

1.1	Operate its facilities at each point of interconnection with the CAISO Controlled Grid within established operating parameters including normal ratings, emergency ratings, voltage limits, and balance of load between electrical phases.

1.2	Maintain primary and backup protective systems such that faults on UDC facilities will be cleared with minimal impact on the CAISO Controlled Grid.

1.3	Maintain Load power factor at each point of interconnection with the CAISO Controlled Grid as close as possible to unity power factor and pursuant to Section 8.2.3.3 of the CAISO Tariff.

CAISO Responsibilities

2.0	The CAISO shall operate the CAISO Controlled Grid at each point of interconnection with the UDC in such manner as to avoid any material or adverse impact on the UDC facilities.  In accordance with this performance goal, the CAISO shall:

2.1	 Participate with the UDC and TO in the development of joint power quality performance standards and jointly maintain compliance with such standards.

2.2	Observe UDC grid voltage limits specified in Attachment 1 including requirements for reduced voltage on CAISO Controlled Grid facilities which apply during heavy fog (or other unusual operating conditions) as needed to minimize the risk of insulator flashover.

2.3	Approve transmission owner maintenance requests in a timely manner, and shall not unreasonably withhold approval of TO requests for authorization to perform energized insulator washing work or to take planned Outages needed to replace or insul-grease insulators.

2.4	Support UDC investigation of power quality incidents, and provide related data to the UDC in a timely manner.

2.5	Support installation of apparatus on the CAISO Controlled Grid to improve power quality, and take all reasonable measures to investigate and mitigate power quality concerns caused by actions or events in neighboring systems or Balancing Authority Areas.

2.6	Maintain Load power factor at each UDC Interconnection as close as possible to unity power factor and pursuant to Section 8.2.3.3 of the CAISO Tariff.

SCHEDULE 13

CRITICAL PROTECTION SYSTEMS

Distribution protective relay schemes affecting the CAISO Controlled Grid are those associated with transformers that would trip transmission breakers and/or busses at UDC Interconnection point when activated.  These would include any of the following:

- High Side Overcurrent Relays

- Differential Overcurrent Relays

- Sudden Pressure Relays

- Low Oil Relays

- Neutral Ground Overcurrent Relays

- On fuse protected transformers, it would be the high-side fuses.

SCHEDULE 14

RIGHTS OF ACCESS TO FACILITIES

14.1	Equipment Installation.  In order to give effect to this Operating Agreement, a Party that requires to use particular equipment (the equipment owner) may require installation of such equipment on property owned by the other Party (the property owner), provided that the equipment is necessary to meet the equipment owner’s service obligations and that the equipment shall not have a negative impact on the reliability of the service provided, nor prevent the property owner from performing its own obligations or exercising its rights under this Operating Agreement.

14.1.1	Free Access.  The property owner shall grant to the equipment owner free of charge reasonable installation rights and rights of access to accommodate equipment inspection, maintenance, repair, upgrading, or removal for the purposes of this Operating Agreement, subject to the property owner’s reasonable safety, operational, and future expansion needs.

14.1.2	Notice.  The equipment owner shall provide reasonable notice to the property owner when requesting access for site assessment, equipment installation, or other relevant purposes.  Such access shall not be provided unless the parties mutually agree to the date, time, and purpose of each access.  Agreement on the terms of the access shall not be unreasonably withheld or delayed.

14.1.3	Removal of Installed Equipment.  Following reasonable notice, the equipment owner shall be required, at its own expense, to remove or relocate equipment, at the request of the property owner, provided that the equipment owner shall not be required to do so if it would have a negative impact on the reliability of the service provided, or be prevented from performing its own obligations or exercising its rights under this Operating Agreement.

14.1.4	Costs.  The equipment owner shall repair at its own expense any property damage it causes in exercising its rights and shall reimburse the property owner for any other reasonable costs that it may be required to incur to accommodate the equipment owner’s exercise of its rights under this Section 14.1.

14.2	Rights to Assets.  The Parties shall not interfere with each other’s assets, without prior written agreement.

14.3	Inspection of Facilities.  In order to meet their respective obligations under this Operating Agreement, each Party may view or inspect facilities owned by the other Party.  Provided that reasonable notice is given, a Party shall not unreasonably deny access to relevant facilities for viewing or inspection by the requesting Party.

14.4		Access During Emergencies.  Either Party shall have rights of access, without prior notice, to the other Party’s equipment as necessary during times of a System Emergency.

SCHEDULE 15

PENALTIES AND SANCTIONS

Intentionally left blank, initially, in accordance with Section 11.8