## User guide
Description
The data contains import limits and resulting WEIM transfers that incurred following an upward flexible ramping sufficiency test or bid range capacity test failure during March 2022.
Notes
•Data only contains upward results from final test at T-40 (RTBS_3).
•Intervals with known invalid test failures were removed from the data. These can occur because of a market disruption, software defect, or other error.
•Intervals with missing data were removed.
•In some cases the import limit after failing the test (from the greater of the base transfer or last 15-minute interval transfer) is at or beyond the normal limit from the sum of individual WEIM transfer system resources. In these cases the import limit imposed after failing the test is not relevant, so these intervals were removed.
Variables
| Market: | 15-mintue market (FMM) or 5-minute market (RTD).
| Date: | Market/test date.
| Hour: | Market/test hour.
| Market interval: | Market interval.
| Test interval | Test interval.
| BAA: | Balancing authority area.
| Direction | Direction (only upward included).
| Sufficiency test status: | Sufficiency test status, pass or fail.
| Capacity test status: | Capacity test status, pass or fail.
| RSE imposed import limit: | Import limit imposed after failing either the flex ramp sufficiency or capacity tests, set by the greater of the base WEIM transfer or last 15-minute market transfer. (positive is on import side, negative is on export side).
| Market net EIM import: | 15-minute or 5-minute market net WEIM import (positive is a net import, negative is a net export).
| Base net import: | Base (bilateral) net import (positive is a net import, negative is a net export).
| RSE imposed import limit (no base): | Incremental import limit, RSE imposed import limit above base schedules (greater of zero or the last 15-minute market transfer minus base).
| Market net EIM import (no base): | Incremental 15-minute or 5-minute market net WEIM import above base schedules (positive is a net import, negative is a net export).
| DISCLAIMER: | With California ISO's approval, DMM is releasing this data in response to market participant requests submitted in the California ISO's WEIM Resource Sufficiency Evaluation Enhancements stakeholder initiative. The California ISO does not warrant the accuracy or completeness of this data. This data cannot be republished without obtaining prior written consent of the California ISO. CAISO - Public

## March 2022
Market | Date | Hour | Market interval | Test interval | BAA | Direction | Sufficiency test status | Capacity test status | RSE imposed import limit | Market net WEIM import | Base (bilateral) net import | RSE imposed import limit (no base) | Market net WEIM import (no base)
FMM | 2022-03-14 | 9 | 1 | 1 | AZPS | UP | FAIL | FAIL | -2178.4919 | -2196.9399 | -2356 | 177.5081 | 159.0601
FMM | 2022-03-14 | 9 | 2 | 2 | AZPS | UP | FAIL | PASS | -2196.9399 | -2196.9399 | -2420 | 223.0601 | 223.0601
FMM | 2022-03-26 | 20 | 1 | 1 | LADWP | UP | FAIL | PASS | 299.1334 | 299.1358 | 119.6667 | 179.4668 | 179.4691
FMM | 2022-03-26 | 20 | 2 | 2 | LADWP | UP | FAIL | PASS | 299.1358 | 299.1381 | 120 | 179.1358 | 179.1381
FMM | 2022-03-26 | 20 | 3 | 3 | LADWP | UP | FAIL | PASS | 299.1381 | 299.1405 | 120 | 179.1381 | 179.1405
FMM | 2022-03-06 | 19 | 2 | 2 | NEVP | UP | FAIL | PASS | 568.7434 | 436.1901 | 242 | 326.7434 | 194.1901
FMM | 2022-03-14 | 9 | 1 | 1 | NEVP | UP | FAIL | PASS | 168.8333 | 168.8357 | 168.8333 | 0 | 0.0023307
FMM | 2022-03-14 | 18 | 4 | 4 | NEVP | UP | FAIL | PASS | 244 | 241.6578 | 244 | 0 | -2.3422
FMM | 2022-03-14 | 19 | 3 | 3 | NEVP | UP | FAIL | PASS | 290.4372 | 290.4396 | 284 | 6.4372 | 6.4396
FMM | 2022-03-14 | 19 | 4 | 4 | NEVP | UP | FAIL | PASS | 290.4396 | 290.4419 | 283.8333 | 6.6063 | 6.6086
FMM | 2022-03-17 | 13 | 4 | 4 | NEVP | UP | FAIL | PASS | 150.8333 | 63.8344 | 150.8333 | 0 | -86.9989
FMM | 2022-03-19 | 13 | 4 | 4 | NEVP | UP | FAIL | PASS | 394.8333 | 394.8334 | 394.8333 | 0 | 5.8566e-05
FMM | 2022-03-26 | 22 | 1 | 1 | NEVP | UP | FAIL | PASS | 443.1667 | 376.9378 | 443.1667 | 0 | -66.2289
FMM | 2022-03-27 | 14 | 4 | 4 | NEVP | UP | FAIL | PASS | 62.3333 | 42.9564 | 62.3333 | 0 | -19.3769
FMM | 2022-03-27 | 15 | 4 | 4 | NEVP | UP | FAIL | PASS | 170.2452 | 161.4744 | 163.5 | 6.7452 | -2.0256
FMM | 2022-03-27 | 19 | 4 | 4 | NEVP | UP | FAIL | PASS | 486.6667 | 486.669 | 486.6667 | 0 | 0.002295
FMM | 2022-03-13 | 11 | 1 | 1 | NWMT | UP | FAIL | PASS | 129.1598 | 129.1599 | 32.6667 | 96.4931 | 96.4933
FMM | 2022-03-13 | 11 | 2 | 2 | NWMT | UP | FAIL | PASS | 129.1599 | 129.1605 | 6 | 123.1599 | 123.1605
FMM | 2022-03-13 | 11 | 3 | 3 | NWMT | UP | FAIL | PASS | 129.1605 | 127.6276 | 6 | 123.1605 | 121.6276
FMM | 2022-03-13 | 11 | 4 | 4 | NWMT | UP | FAIL | PASS | 127.6276 | 124.1555 | 6.1667 | 121.461 | 117.9888
FMM | 2022-03-03 | 11 | 1 | 1 | PACW | UP | PASS | FAIL | -1032.0545 | -1032.0544 | -1167.2333 | 135.1788 | 135.1789
FMM | 2022-03-03 | 11 | 2 | 2 | PACW | UP | PASS | FAIL | -1032.0544 | -1032.0536 | -1187 | 154.9456 | 154.9464
FMM | 2022-03-03 | 11 | 3 | 3 | PACW | UP | PASS | FAIL | -1032.0536 | -1032.0527 | -1187 | 154.9464 | 154.9473
FMM | 2022-03-03 | 11 | 4 | 4 | PACW | UP | PASS | FAIL | -1032.0527 | -1050.432 | -1172 | 139.9473 | 121.568
FMM | 2022-03-18 | 2 | 1 | 1 | PACW | UP | PASS | FAIL | -1238.1667 | -1239.9822 | -1238.1667 | 0 | -1.8156
FMM | 2022-03-18 | 2 | 2 | 2 | PACW | UP | PASS | FAIL | -1239.9822 | -1239.9822 | -1248 | 8.0178 | 8.0178
FMM | 2022-03-21 | 12 | 1 | 1 | PACW | UP | FAIL | FAIL | -230.5385 | -230.5361 | -287.8333 | 57.2948 | 57.2972
FMM | 2022-03-21 | 12 | 2 | 2 | PACW | UP | FAIL | FAIL | -230.5361 | -269.4837 | -279 | 48.4639 | 9.5163
FMM | 2022-03-21 | 12 | 3 | 3 | PACW | UP | PASS | FAIL | -269.4837 | -269.4831 | -279 | 9.5163 | 9.5169
FMM | 2022-03-28 | 22 | 1 | 1 | PNM | UP | FAIL | PASS | 0.73595 | -5.037 | -59.6667 | 60.4026 | 54.6297
FMM | 2022-03-31 | 11 | 1 | 1 | PNM | UP | FAIL | PASS | 445.7176 | 16.5661 | 43 | 402.7176 | -26.4339
FMM | 2022-03-09 | 23 | 1 | 1 | PSEI | UP | FAIL | PASS | 167.9907 | 167.9931 | 75.5 | 92.4907 | 92.4931
FMM | 2022-03-06 | 21 | 1 | 1 | SCL | UP | FAIL | PASS | -100 | -117.8656 | -100 | 0 | -17.8656
FMM | 2022-03-06 | 21 | 2 | 2 | SCL | UP | FAIL | PASS | -100 | -111.3564 | -100 | 0 | -11.3564
FMM | 2022-03-30 | 1 | 1 | 1 | SCL | UP | PASS | FAIL | -26.9257 | -33.4056 | -36.8333 | 9.9076 | 3.4277
FMM | 2022-03-30 | 1 | 2 | 2 | SCL | UP | PASS | FAIL | -33.4056 | -33.4032 | -34 | 0.59437 | 0.59679
FMM | 2022-03-05 | 21 | 1 | 1 | SRP | UP | FAIL | PASS | 2266.5491 | 2266.5515 | 2239 | 27.5491 | 27.5515
FMM | 2022-03-15 | 20 | 1 | 1 | SRP | UP | PASS | FAIL | 1864.3333 | 1864.3181 | 1864.3333 | 0 | -0.015226
FMM | 2022-03-15 | 20 | 2 | 2 | SRP | UP | PASS | FAIL | 1891 | 1891.0006 | 1891 | 0 | 0.00058789
FMM | 2022-03-16 | 22 | 1 | 1 | SRP | UP | FAIL | PASS | 1762 | 1758.8445 | 1762 | 0 | -3.1555
FMM | 2022-03-16 | 22 | 2 | 2 | SRP | UP | FAIL | PASS | 1803 | 1799.587 | 1803 | 0 | -3.413
FMM | 2022-03-16 | 23 | 1 | 1 | SRP | UP | FAIL | PASS | 1899.3333 | 1899.3357 | 1899.3333 | 0 | 0.0023782
FMM | 2022-03-16 | 23 | 2 | 2 | SRP | UP | FAIL | PASS | 1919 | 1919.0024 | 1919 | 0 | 0.0023914
FMM | 2022-03-18 | 20 | 1 | 1 | SRP | UP | FAIL | FAIL | 1447.5497 | 1318.5033 | 1334 | 113.5497 | -15.4967
FMM | 2022-03-18 | 20 | 2 | 2 | SRP | UP | FAIL | FAIL | 1362 | 1361.9842 | 1362 | 0 | -0.015783
FMM | 2022-03-18 | 20 | 3 | 3 | SRP | UP | FAIL | FAIL | 1362 | 1355.8045 | 1362 | 0 | -6.1955
FMM | 2022-03-18 | 20 | 4 | 4 | SRP | UP | FAIL | PASS | 1380.3333 | 1380.3339 | 1380.3333 | 0 | 0.00058621
FMM | 2022-03-18 | 22 | 1 | 1 | SRP | UP | FAIL | FAIL | 1518.1003 | 1447.1736 | 1477.3333 | 40.767 | -30.1598
FMM | 2022-03-18 | 22 | 2 | 2 | SRP | UP | FAIL | PASS | 1537 | 1506.0069 | 1537 | 0 | -30.9931
FMM | 2022-03-20 | 21 | 1 | 1 | SRP | UP | FAIL | PASS | 2228.6667 | 2228.669 | 2228.6667 | 0 | 0.0022928
FMM | 2022-03-20 | 22 | 1 | 1 | SRP | UP | FAIL | PASS | 2269.3333 | 2248.6739 | 2269.3333 | 0 | -20.6594
FMM | 2022-03-20 | 22 | 2 | 2 | SRP | UP | FAIL | PASS | 2276 | 2248.3671 | 2276 | 0 | -27.6329
FMM | 2022-03-31 | 10 | 1 | 1 | SRP | UP | FAIL | PASS | 1992.7246 | 1992.727 | 1947.3333 | 45.3913 | 45.3937
FMM | 2022-03-31 | 10 | 2 | 2 | SRP | UP | FAIL | PASS | 1992.727 | 1992.7294 | 1953 | 39.727 | 39.7294
FMM | 2022-03-31 | 20 | 1 | 1 | SRP | UP | FAIL | PASS | 1550.6905 | 1413.0286 | 1307.6667 | 243.0238 | 105.362
FMM | 2022-03-31 | 20 | 2 | 2 | SRP | UP | FAIL | PASS | 1413.0286 | 1395.5422 | 1261 | 152.0286 | 134.5422
FMM | 2022-03-31 | 22 | 1 | 1 | SRP | UP | FAIL | PASS | 1583.3333 | 1583.3181 | 1583.3333 | 0 | -0.015243
RTD | 2022-03-14 | 9 | 1 | 1 | AZPS | UP | FAIL | FAIL | -2178.4919 | -2224.5949 | -2246.75 | 68.2581 | 22.1551
RTD | 2022-03-14 | 9 | 2 | 1 | AZPS | UP | FAIL | FAIL | -2178.4919 | -2178.4918 | -2363.25 | 184.7581 | 184.7582
RTD | 2022-03-14 | 9 | 3 | 1 | AZPS | UP | FAIL | FAIL | -2178.4919 | -2178.4919 | -2420 | 241.5081 | 241.5081
RTD | 2022-03-14 | 9 | 4 | 2 | AZPS | UP | FAIL | PASS | -2196.9399 | -2196.9399 | -2420 | 223.0601 | 223.0601
RTD | 2022-03-14 | 9 | 5 | 2 | AZPS | UP | FAIL | PASS | -2196.9399 | -2196.9399 | -2404 | 207.0601 | 207.0601
RTD | 2022-03-14 | 9 | 6 | 2 | AZPS | UP | FAIL | PASS | -2196.9399 | -2196.9399 | -2409 | 212.0601 | 212.0601
RTD | 2022-03-26 | 20 | 1 | 1 | LADWP | UP | FAIL | PASS | 299.1334 | 299.1334 | 119.25 | 179.8834 | 179.8834
RTD | 2022-03-26 | 20 | 2 | 1 | LADWP | UP | FAIL | PASS | 299.1334 | 299.1335 | 119.75 | 179.3834 | 179.3835
RTD | 2022-03-26 | 20 | 3 | 1 | LADWP | UP | FAIL | PASS | 299.1334 | 299.1342 | 120 | 179.1334 | 179.1342
RTD | 2022-03-26 | 20 | 4 | 2 | LADWP | UP | FAIL | PASS | 299.1358 | 299.1366 | 120 | 179.1358 | 179.1366
RTD | 2022-03-26 | 20 | 5 | 2 | LADWP | UP | FAIL | PASS | 299.1358 | 299.1366 | 120 | 179.1358 | 179.1366
RTD | 2022-03-26 | 20 | 6 | 2 | LADWP | UP | FAIL | PASS | 299.1358 | 299.1366 | 120 | 179.1358 | 179.1366
RTD | 2022-03-26 | 20 | 7 | 3 | LADWP | UP | FAIL | PASS | 299.1381 | 299.1389 | 120 | 179.1381 | 179.1389
RTD | 2022-03-26 | 20 | 8 | 3 | LADWP | UP | FAIL | PASS | 299.1381 | 299.1381 | 120 | 179.1381 | 179.1381
RTD | 2022-03-26 | 20 | 9 | 3 | LADWP | UP | FAIL | PASS | 299.1381 | 299.1381 | 120 | 179.1381 | 179.1381
RTD | 2022-03-06 | 19 | 4 | 2 | NEVP | UP | FAIL | PASS | 568.7434 | 351.5583 | 242 | 326.7434 | 109.5583
RTD | 2022-03-06 | 19 | 5 | 2 | NEVP | UP | FAIL | PASS | 568.7434 | 303.2258 | 242 | 326.7434 | 61.2258
RTD | 2022-03-06 | 19 | 6 | 2 | NEVP | UP | FAIL | PASS | 568.7434 | 234.001 | 242 | 326.7434 | -7.999
RTD | 2022-03-14 | 9 | 1 | 1 | NEVP | UP | FAIL | PASS | 152 | 152.0008 | 152 | 0 | 0.00079537
RTD | 2022-03-14 | 9 | 2 | 1 | NEVP | UP | FAIL | PASS | 151.75 | 151.7508 | 151.75 | 0 | 0.00079584
RTD | 2022-03-14 | 9 | 3 | 1 | NEVP | UP | FAIL | PASS | 152 | 134.4655 | 152 | 0 | -17.5345
RTD | 2022-03-14 | 18 | 10 | 4 | NEVP | UP | FAIL | PASS | 236 | 236 | 236 | 0 | 4.1157e-06
RTD | 2022-03-14 | 18 | 11 | 4 | NEVP | UP | FAIL | PASS | 242 | 242.0008 | 242 | 0 | 0.00079292
RTD | 2022-03-14 | 18 | 12 | 4 | NEVP | UP | FAIL | PASS | 254 | 254.0008 | 254 | 0 | 0.00078986
RTD | 2022-03-14 | 19 | 7 | 3 | NEVP | UP | FAIL | PASS | 290.4372 | 290.438 | 284 | 6.4372 | 6.438
RTD | 2022-03-14 | 19 | 8 | 3 | NEVP | UP | FAIL | PASS | 290.4372 | 290.438 | 284 | 6.4372 | 6.438
RTD | 2022-03-14 | 19 | 9 | 3 | NEVP | UP | FAIL | PASS | 290.4372 | 290.438 | 284 | 6.4372 | 6.438
RTD | 2022-03-14 | 19 | 10 | 4 | NEVP | UP | FAIL | PASS | 290.4396 | 290.4404 | 284 | 6.4396 | 6.4404
RTD | 2022-03-14 | 19 | 11 | 4 | NEVP | UP | FAIL | PASS | 290.4396 | 290.4404 | 283.875 | 6.5646 | 6.5654
RTD | 2022-03-14 | 19 | 12 | 4 | NEVP | UP | FAIL | PASS | 290.4396 | 290.4404 | 283.625 | 6.8146 | 6.8154
RTD | 2022-03-17 | 13 | 10 | 4 | NEVP | UP | FAIL | PASS | 136.1955 | 1.9041 | 133 | 3.1955 | -131.0959
RTD | 2022-03-17 | 13 | 11 | 4 | NEVP | UP | FAIL | PASS | 136.1955 | -59.4233 | 133.25 | 2.9455 | -192.6733
RTD | 2022-03-17 | 13 | 12 | 4 | NEVP | UP | FAIL | PASS | 136.1955 | 33.6785 | 133.75 | 2.4455 | -100.0715
RTD | 2022-03-19 | 13 | 10 | 4 | NEVP | UP | FAIL | PASS | 394 | 394 | 394 | 0 | 2.0384e-05
RTD | 2022-03-19 | 13 | 11 | 4 | NEVP | UP | FAIL | PASS | 394.75 | 383.0498 | 394.75 | 0 | -11.7002
RTD | 2022-03-19 | 13 | 12 | 4 | NEVP | UP | FAIL | PASS | 396.25 | 396.25 | 396.25 | 0 | 2.042e-05
RTD | 2022-03-26 | 22 | 1 | 1 | NEVP | UP | FAIL | PASS | 439.625 | 375.1491 | 439.625 | 0 | -64.4759
RTD | 2022-03-26 | 22 | 2 | 1 | NEVP | UP | FAIL | PASS | 443.875 | 384.3089 | 443.875 | 0 | -59.5661
RTD | 2022-03-26 | 22 | 3 | 1 | NEVP | UP | FAIL | PASS | 446 | 402.1679 | 446 | 0 | -43.8321
RTD | 2022-03-27 | 14 | 10 | 4 | NEVP | UP | FAIL | PASS | 43 | -193.5969 | 43 | 0 | -236.5969
RTD | 2022-03-27 | 14 | 11 | 4 | NEVP | UP | FAIL | PASS | 57.5 | -95.4543 | 57.5 | 0 | -152.9543
RTD | 2022-03-27 | 14 | 12 | 4 | NEVP | UP | FAIL | PASS | 86.5 | -91.677 | 86.5 | 0 | -178.177
RTD | 2022-03-27 | 15 | 10 | 4 | NEVP | UP | FAIL | PASS | 170.2452 | -293.8198 | 159 | 11.2452 | -452.8198
RTD | 2022-03-27 | 15 | 11 | 4 | NEVP | UP | FAIL | PASS | 170.2452 | -183.7185 | 162.375 | 7.8702 | -346.0935
RTD | 2022-03-27 | 15 | 12 | 4 | NEVP | UP | FAIL | PASS | 170.2452 | -157.812 | 169.125 | 1.1202 | -326.937
RTD | 2022-03-27 | 19 | 11 | 4 | NEVP | UP | FAIL | PASS | 451.5 | 451.5004 | 451.5 | 0 | 0.00040902
RTD | 2022-03-27 | 19 | 12 | 4 | NEVP | UP | FAIL | PASS | 512.5 | 512.5008 | 512.5 | 0 | 0.00075992
RTD | 2022-03-13 | 11 | 1 | 1 | NWMT | UP | FAIL | PASS | 129.1598 | 71.2762 | 66 | 63.1598 | 5.2762
RTD | 2022-03-13 | 11 | 2 | 1 | NWMT | UP | FAIL | PASS | 129.1598 | 86.2358 | 26 | 103.1598 | 60.2358
RTD | 2022-03-13 | 11 | 3 | 1 | NWMT | UP | FAIL | PASS | 129.1598 | 88.0299 | 6 | 123.1598 | 82.0299
RTD | 2022-03-13 | 11 | 4 | 2 | NWMT | UP | FAIL | PASS | 129.1599 | 82.8178 | 6 | 123.1599 | 76.8178
RTD | 2022-03-13 | 11 | 5 | 2 | NWMT | UP | FAIL | PASS | 129.1599 | 83.9623 | 6 | 123.1599 | 77.9623
RTD | 2022-03-13 | 11 | 6 | 2 | NWMT | UP | FAIL | PASS | 129.1599 | 85.3471 | 6 | 123.1599 | 79.3471
RTD | 2022-03-13 | 11 | 7 | 3 | NWMT | UP | FAIL | PASS | 129.1605 | 82.26 | 6 | 123.1605 | 76.26
RTD | 2022-03-13 | 11 | 8 | 3 | NWMT | UP | FAIL | PASS | 129.1605 | 88.3251 | 6 | 123.1605 | 82.3251
RTD | 2022-03-13 | 11 | 9 | 3 | NWMT | UP | FAIL | PASS | 129.1605 | 87.6019 | 6 | 123.1605 | 81.6019
RTD | 2022-03-13 | 11 | 10 | 4 | NWMT | UP | FAIL | PASS | 127.6276 | 88.2151 | 6 | 121.6276 | 82.2151
RTD | 2022-03-13 | 11 | 11 | 4 | NWMT | UP | FAIL | PASS | 127.6276 | 94.9573 | 6.125 | 121.5026 | 88.8323
RTD | 2022-03-13 | 11 | 12 | 4 | NWMT | UP | FAIL | PASS | 127.6276 | 101.7941 | 6.375 | 121.2526 | 95.4191
RTD | 2022-03-03 | 11 | 1 | 1 | PACW | UP | PASS | FAIL | -1032.0545 | -1032.0537 | -1089.075 | 57.0205 | 57.0213
RTD | 2022-03-03 | 11 | 2 | 1 | PACW | UP | PASS | FAIL | -1032.0545 | -1032.0545 | -1120.625 | 88.5705 | 88.5705
RTD | 2022-03-03 | 11 | 3 | 1 | PACW | UP | PASS | FAIL | -1032.0545 | -1032.0545 | -1130 | 97.9455 | 97.9455
RTD | 2022-03-03 | 11 | 4 | 2 | PACW | UP | PASS | FAIL | -1032.0544 | -1032.0543 | -1130 | 97.9456 | 97.9457
RTD | 2022-03-03 | 11 | 5 | 2 | PACW | UP | PASS | FAIL | -1032.0544 | -1032.0544 | -1130 | 97.9456 | 97.9456
RTD | 2022-03-03 | 11 | 6 | 2 | PACW | UP | PASS | FAIL | -1032.0544 | -1032.0542 | -1130 | 97.9456 | 97.9458
RTD | 2022-03-03 | 11 | 7 | 3 | PACW | UP | PASS | FAIL | -1032.0536 | -1067.5672 | -1130 | 97.9464 | 62.4328
RTD | 2022-03-03 | 11 | 8 | 3 | PACW | UP | PASS | FAIL | -1032.0536 | -1113.995 | -1130 | 97.9464 | 16.005
RTD | 2022-03-03 | 11 | 9 | 3 | PACW | UP | PASS | FAIL | -1032.0536 | -1040.1434 | -1130 | 97.9464 | 89.8566
RTD | 2022-03-03 | 11 | 10 | 4 | PACW | UP | PASS | FAIL | -1032.0527 | -1032.0527 | -1130 | 97.9473 | 97.9473
RTD | 2022-03-03 | 11 | 11 | 4 | PACW | UP | PASS | FAIL | -1032.0527 | -1032.0527 | -1126 | 93.9473 | 93.9473
RTD | 2022-03-03 | 11 | 12 | 4 | PACW | UP | PASS | FAIL | -1032.0527 | -1032.0527 | -1118 | 85.9473 | 85.9473
RTD | 2022-03-18 | 2 | 1 | 1 | PACW | UP | PASS | FAIL | -1225.875 | -1225.875 | -1225.875 | 0 | 2.0915e-05
RTD | 2022-03-18 | 2 | 2 | 1 | PACW | UP | PASS | FAIL | -1240.625 | -1242.8361 | -1240.625 | 0 | -2.2111
RTD | 2022-03-18 | 2 | 3 | 1 | PACW | UP | PASS | FAIL | -1248 | -1248 | -1248 | 0 | 1.3724e-05
RTD | 2022-03-18 | 2 | 4 | 2 | PACW | UP | PASS | FAIL | -1239.9822 | -1241.0643 | -1248 | 8.0178 | 6.9357
RTD | 2022-03-18 | 2 | 5 | 2 | PACW | UP | PASS | FAIL | -1239.9822 | -1248.5185 | -1248 | 8.0178 | -0.51854
RTD | 2022-03-18 | 2 | 6 | 2 | PACW | UP | PASS | FAIL | -1239.9822 | -1240.3902 | -1248 | 8.0178 | 7.6098
RTD | 2022-03-21 | 12 | 1 | 1 | PACW | UP | FAIL | FAIL | -230.5385 | -295.2018 | -387.25 | 156.7115 | 92.0482
RTD | 2022-03-21 | 12 | 2 | 1 | PACW | UP | FAIL | FAIL | -230.5385 | -230.5385 | -367.75 | 137.2115 | 137.2115
RTD | 2022-03-21 | 12 | 3 | 1 | PACW | UP | FAIL | FAIL | -230.5385 | -230.5385 | -358 | 127.4615 | 127.4615
RTD | 2022-03-21 | 12 | 4 | 2 | PACW | UP | FAIL | FAIL | -230.5361 | -230.5361 | -358 | 127.4639 | 127.4639
RTD | 2022-03-21 | 12 | 5 | 2 | PACW | UP | FAIL | FAIL | -230.5361 | -230.5361 | -358 | 127.4639 | 127.4639
RTD | 2022-03-21 | 12 | 6 | 2 | PACW | UP | FAIL | FAIL | -230.5361 | -230.5361 | -358 | 127.4639 | 127.4639
RTD | 2022-03-21 | 12 | 7 | 3 | PACW | UP | PASS | FAIL | -269.4837 | -269.4829 | -358 | 88.5163 | 88.5171
RTD | 2022-03-21 | 12 | 8 | 3 | PACW | UP | PASS | FAIL | -269.4837 | -269.4837 | -358 | 88.5163 | 88.5163
RTD | 2022-03-21 | 12 | 9 | 3 | PACW | UP | PASS | FAIL | -269.4837 | -269.4837 | -358 | 88.5163 | 88.5163
RTD | 2022-03-28 | 22 | 1 | 1 | PNM | UP | FAIL | PASS | 0.73595 | -96.9161 | -39 | 39.7359 | -57.9161
RTD | 2022-03-28 | 22 | 2 | 1 | PNM | UP | FAIL | PASS | 0.73595 | 0.73596 | -65 | 65.7359 | 65.736
RTD | 2022-03-28 | 22 | 3 | 1 | PNM | UP | FAIL | PASS | 0.73595 | -23.0637 | -77 | 77.7359 | 53.9363
RTD | 2022-03-31 | 11 | 1 | 1 | PNM | UP | FAIL | PASS | 445.7176 | 37.1304 | 173 | 272.7176 | -135.8696
RTD | 2022-03-31 | 11 | 2 | 1 | PNM | UP | FAIL | PASS | 518 | -29.9789 | 518 | 0 | -547.9789
RTD | 2022-03-31 | 11 | 3 | 1 | PNM | UP | FAIL | PASS | 511 | 1.2817 | 511 | 0 | -509.7183
RTD | 2022-03-09 | 23 | 1 | 1 | PSEI | UP | FAIL | PASS | 167.9907 | 167.9915 | 103.625 | 64.3657 | 64.3665
RTD | 2022-03-09 | 23 | 2 | 1 | PSEI | UP | FAIL | PASS | 167.9907 | 167.9915 | 69.875 | 98.1157 | 98.1165
RTD | 2022-03-09 | 23 | 3 | 1 | PSEI | UP | FAIL | PASS | 167.9907 | 167.9915 | 53 | 114.9907 | 114.9915
RTD | 2022-03-06 | 21 | 1 | 1 | SCL | UP | FAIL | PASS | -100 | -99.9992 | -100 | 0 | 0.00079207
RTD | 2022-03-06 | 21 | 2 | 1 | SCL | UP | FAIL | PASS | -100 | -99.9992 | -100 | 0 | 0.00079284
RTD | 2022-03-06 | 21 | 3 | 1 | SCL | UP | FAIL | PASS | -100 | -99.9992 | -100 | 0 | 0.00079308
RTD | 2022-03-06 | 21 | 4 | 2 | SCL | UP | FAIL | PASS | -100 | -99.9992 | -100 | 0 | 0.00079407
RTD | 2022-03-06 | 21 | 5 | 2 | SCL | UP | FAIL | PASS | -100 | -99.9992 | -100 | 0 | 0.00079575
RTD | 2022-03-06 | 21 | 6 | 2 | SCL | UP | FAIL | PASS | -100 | -99.9992 | -100 | 0 | 0.00079462
RTD | 2022-03-30 | 1 | 1 | 1 | SCL | UP | PASS | FAIL | -26.9257 | -74.9251 | -40.375 | 13.4493 | -34.5501
RTD | 2022-03-30 | 1 | 2 | 1 | SCL | UP | PASS | FAIL | -26.9257 | -45.0412 | -36.125 | 9.1993 | -8.9162
RTD | 2022-03-30 | 1 | 3 | 1 | SCL | UP | PASS | FAIL | -26.9257 | -32.9784 | -34 | 7.0743 | 1.0216
RTD | 2022-03-30 | 1 | 4 | 2 | SCL | UP | PASS | FAIL | -33.4056 | -36.0658 | -34 | 0.59437 | -2.0658
RTD | 2022-03-30 | 1 | 5 | 2 | SCL | UP | PASS | FAIL | -33.4056 | -42.5721 | -34 | 0.59437 | -8.5721
RTD | 2022-03-30 | 1 | 6 | 2 | SCL | UP | PASS | FAIL | -33.4056 | -46.7233 | -34 | 0.59437 | -12.7233
RTD | 2022-03-05 | 21 | 1 | 1 | SRP | UP | FAIL | PASS | 2266.5491 | 2266.5499 | 2246 | 20.5491 | 20.5499
RTD | 2022-03-05 | 21 | 2 | 1 | SRP | UP | FAIL | PASS | 2266.5491 | 2266.5499 | 2251 | 15.5491 | 15.5499
RTD | 2022-03-05 | 21 | 3 | 1 | SRP | UP | FAIL | PASS | 2266.5491 | 2266.5499 | 2253 | 13.5491 | 13.5499
RTD | 2022-03-15 | 20 | 1 | 1 | SRP | UP | PASS | FAIL | 1836.9653 | 1836.9661 | 1831 | 5.9653 | 5.9661
RTD | 2022-03-15 | 20 | 2 | 1 | SRP | UP | PASS | FAIL | 1871 | 1870.9848 | 1871 | 0 | -0.015238
RTD | 2022-03-15 | 20 | 3 | 1 | SRP | UP | PASS | FAIL | 1891 | 1890.9848 | 1891 | 0 | -0.015238
RTD | 2022-03-15 | 20 | 4 | 2 | SRP | UP | PASS | FAIL | 1891 | 1890.9848 | 1891 | 0 | -0.015239
RTD | 2022-03-15 | 20 | 5 | 2 | SRP | UP | PASS | FAIL | 1891 | 1890.9848 | 1891 | 0 | -0.015239
RTD | 2022-03-15 | 20 | 6 | 2 | SRP | UP | PASS | FAIL | 1891 | 1890.985 | 1891 | 0 | -0.015037
RTD | 2022-03-16 | 22 | 1 | 1 | SRP | UP | FAIL | PASS | 1725 | 1688.9141 | 1725 | 0 | -36.0859
RTD | 2022-03-16 | 22 | 2 | 1 | SRP | UP | FAIL | PASS | 1778 | 1747.6239 | 1778 | 0 | -30.3761
RTD | 2022-03-16 | 22 | 3 | 1 | SRP | UP | FAIL | PASS | 1803 | 1802.9848 | 1803 | 0 | -0.015212
RTD | 2022-03-16 | 22 | 4 | 2 | SRP | UP | FAIL | PASS | 1801 | 1795.5995 | 1801 | 0 | -5.4005
RTD | 2022-03-16 | 22 | 5 | 2 | SRP | UP | FAIL | PASS | 1801 | 1788.8685 | 1801 | 0 | -12.1315
RTD | 2022-03-16 | 22 | 6 | 2 | SRP | UP | FAIL | PASS | 1801 | 1800.9849 | 1801 | 0 | -0.015053
RTD | 2022-03-16 | 23 | 1 | 1 | SRP | UP | FAIL | PASS | 1874 | 1874.0008 | 1874 | 0 | 0.00079413
RTD | 2022-03-16 | 23 | 2 | 1 | SRP | UP | FAIL | PASS | 1905 | 1905.0008 | 1905 | 0 | 0.00079653
RTD | 2022-03-16 | 23 | 3 | 1 | SRP | UP | FAIL | PASS | 1919 | 1919.0008 | 1919 | 0 | 0.00079677
RTD | 2022-03-16 | 23 | 4 | 2 | SRP | UP | FAIL | PASS | 1919 | 1919.0008 | 1919 | 0 | 0.00079694
RTD | 2022-03-16 | 23 | 5 | 2 | SRP | UP | FAIL | PASS | 1919 | 1918.9847 | 1919 | 0 | -0.015253
RTD | 2022-03-16 | 23 | 6 | 2 | SRP | UP | FAIL | PASS | 1919 | 1919.0008 | 1919 | 0 | 0.00080138
RTD | 2022-03-18 | 20 | 1 | 1 | SRP | UP | FAIL | FAIL | 1447.5497 | 1424.8759 | 1440 | 7.5497 | -15.1241
RTD | 2022-03-18 | 20 | 2 | 1 | SRP | UP | FAIL | FAIL | 1447.5497 | 1350.7427 | 1387 | 60.5497 | -36.2573
RTD | 2022-03-18 | 20 | 3 | 1 | SRP | UP | FAIL | FAIL | 1447.5497 | 1447.5346 | 1362 | 85.5497 | 85.5346
RTD | 2022-03-18 | 20 | 4 | 2 | SRP | UP | FAIL | FAIL | 1362 | 1362.0008 | 1362 | 0 | 0.0007973
RTD | 2022-03-18 | 20 | 5 | 2 | SRP | UP | FAIL | FAIL | 1362 | 1361.9848 | 1362 | 0 | -0.015242
RTD | 2022-03-18 | 20 | 6 | 2 | SRP | UP | FAIL | FAIL | 1362 | 1361.9848 | 1362 | 0 | -0.015242
RTD | 2022-03-18 | 20 | 7 | 3 | SRP | UP | FAIL | FAIL | 1362 | 1361.9848 | 1362 | 0 | -0.015242
RTD | 2022-03-18 | 20 | 8 | 3 | SRP | UP | FAIL | FAIL | 1362 | 1362.0008 | 1362 | 0 | 0.00079704
RTD | 2022-03-18 | 20 | 9 | 3 | SRP | UP | FAIL | FAIL | 1362 | 1361.9848 | 1362 | 0 | -0.015241
RTD | 2022-03-18 | 20 | 10 | 4 | SRP | UP | FAIL | PASS | 1362 | 1361.9848 | 1362 | 0 | -0.01524
RTD | 2022-03-18 | 20 | 11 | 4 | SRP | UP | FAIL | PASS | 1385 | 1384.985 | 1385 | 0 | -0.015048
RTD | 2022-03-18 | 20 | 12 | 4 | SRP | UP | FAIL | PASS | 1433 | 1433.0008 | 1433 | 0 | 0.0007971
RTD | 2022-03-18 | 22 | 1 | 1 | SRP | UP | FAIL | FAIL | 1543 | 1542.9848 | 1543 | 0 | -0.015242
RTD | 2022-03-18 | 22 | 2 | 1 | SRP | UP | FAIL | FAIL | 1539 | 1538.9848 | 1539 | 0 | -0.015241
RTD | 2022-03-18 | 22 | 3 | 1 | SRP | UP | FAIL | FAIL | 1537 | 1536.9848 | 1537 | 0 | -0.015219
RTD | 2022-03-18 | 22 | 4 | 2 | SRP | UP | FAIL | PASS | 1537 | 1521.5826 | 1537 | 0 | -15.4174
RTD | 2022-03-18 | 22 | 5 | 2 | SRP | UP | FAIL | PASS | 1537 | 1493.8565 | 1537 | 0 | -43.1435
RTD | 2022-03-18 | 22 | 6 | 2 | SRP | UP | FAIL | PASS | 1537 | 1496.2437 | 1537 | 0 | -40.7563
RTD | 2022-03-20 | 21 | 1 | 1 | SRP | UP | FAIL | PASS | 2227 | 2227.0008 | 2227 | 0 | 0.00079847
RTD | 2022-03-20 | 21 | 2 | 1 | SRP | UP | FAIL | PASS | 2229 | 2229.0008 | 2229 | 0 | 0.0007981
RTD | 2022-03-20 | 21 | 3 | 1 | SRP | UP | FAIL | PASS | 2230 | 2230.0008 | 2230 | 0 | 0.00079847
RTD | 2022-03-20 | 22 | 1 | 1 | SRP | UP | FAIL | PASS | 2260 | 2236.7782 | 2260 | 0 | -23.2218
RTD | 2022-03-20 | 22 | 2 | 1 | SRP | UP | FAIL | PASS | 2272 | 2254.1269 | 2272 | 0 | -17.8731
RTD | 2022-03-20 | 22 | 3 | 1 | SRP | UP | FAIL | PASS | 2276 | 2254.7275 | 2276 | 0 | -21.2725
RTD | 2022-03-20 | 22 | 4 | 2 | SRP | UP | FAIL | PASS | 2276 | 2248.1618 | 2276 | 0 | -27.8382
RTD | 2022-03-20 | 22 | 5 | 2 | SRP | UP | FAIL | PASS | 2276 | 2276 | 2276 | 0 | -4.2796e-05
RTD | 2022-03-20 | 22 | 6 | 2 | SRP | UP | FAIL | PASS | 2276 | 2275.985 | 2276 | 0 | -0.015038
RTD | 2022-03-31 | 10 | 1 | 1 | SRP | UP | FAIL | PASS | 1992.7246 | 1992.7254 | 1940 | 52.7246 | 52.7254
RTD | 2022-03-31 | 10 | 2 | 1 | SRP | UP | FAIL | PASS | 1992.7246 | 1992.7246 | 1949 | 43.7246 | 43.7246
RTD | 2022-03-31 | 10 | 3 | 1 | SRP | UP | FAIL | PASS | 1992.7246 | 1992.7254 | 1953 | 39.7246 | 39.7254
RTD | 2022-03-31 | 10 | 4 | 2 | SRP | UP | FAIL | PASS | 1992.727 | 1992.7278 | 1953 | 39.727 | 39.7278
RTD | 2022-03-31 | 10 | 5 | 2 | SRP | UP | FAIL | PASS | 1992.727 | 1992.7278 | 1953 | 39.727 | 39.7278
RTD | 2022-03-31 | 10 | 6 | 2 | SRP | UP | FAIL | PASS | 1992.727 | 1992.7278 | 1953 | 39.727 | 39.7278
RTD | 2022-03-31 | 20 | 1 | 1 | SRP | UP | FAIL | PASS | 1550.6905 | 1481.0806 | 1366 | 184.6905 | 115.0806
RTD | 2022-03-31 | 20 | 2 | 1 | SRP | UP | FAIL | PASS | 1550.6905 | 1403.8148 | 1296 | 254.6905 | 107.8148
RTD | 2022-03-31 | 20 | 3 | 1 | SRP | UP | FAIL | PASS | 1550.6905 | 1342.0135 | 1261 | 289.6905 | 81.0135
RTD | 2022-03-31 | 20 | 4 | 2 | SRP | UP | FAIL | PASS | 1413.0286 | 1344.5459 | 1261 | 152.0286 | 83.5459
RTD | 2022-03-31 | 20 | 5 | 2 | SRP | UP | FAIL | PASS | 1413.0286 | 1353.0823 | 1261 | 152.0286 | 92.0823
RTD | 2022-03-31 | 20 | 6 | 2 | SRP | UP | FAIL | PASS | 1413.0286 | 1348.8786 | 1261 | 152.0286 | 87.8786
RTD | 2022-03-31 | 22 | 1 | 1 | SRP | UP | FAIL | PASS | 1540 | 1540.0008 | 1540 | 0 | 0.0007999
RTD | 2022-03-31 | 22 | 2 | 1 | SRP | UP | FAIL | PASS | 1592 | 1591.9848 | 1592 | 0 | -0.015239
RTD | 2022-03-31 | 22 | 3 | 1 | SRP | UP | FAIL | PASS | 1618 | 1618 | 1618 | 0 | 3.1346e-05