## Template
GeographicalRegion.name | SubGeographicalRegion.name | Substation.RDFID | Substation.name | Equipment.RDFID | Equipment.name | Equipment Type | nominalVoltage | Terminal.RDFID | Terminal.name | sequenceNumber | Dynamic Normal rating ICCP ID | Normal ratings Duration (Minutes) | Max Reasonability Limit for Normal rating | Min Reasonability Limit for Normal rating | Dynamic Emergency 1 ICCP ID | Emergency 1 ratings duration (Minutes) | Max Reasonability Limit for E1 | Min Reasonability Limit for E1 | Dynamic Emergency 2 ICCP ID | Emergency 2 ratings duration (Minutes) | Max Reasonability Limit for E2 | Min Reasonability Limit for E2 | Dynamic Emergency 3 ICCP ID | Emergency 3 ratings duration (Minutes) | Max Reasonability Limit for E3 | Min Reasonability Limit for E3 | Dynamic Emergency 4 ICCP ID | Emergency 4 ratings duration (Minutes) | Max Reasonability Limit for E4 | Min Reasonability Limit for E4

## Notes
Note:
Fill in only yellow columns in MVA |  |  |  |  | Ratings in MVA | Duration
Duration is just text field not telemetered |  |  |  | Emergency 4 | 500 | 15 min
TOP/BAA can fill out up to 4 emergency ratings in MVA |  |  |  | Emergency 3 | 390 | 30 min
Ratings needs to be in ascending order(E2 >= E1 and E3 >=E2 and E4 >=E3); N1 > E1 |  |  |  | Emergency 2 | 380 | 1 hour
It is recommended that TOP determine minimum and maximum reasonability limits for each equipment based on seasonal limits (+/- 15% of seasonal limit) |  |  |  | Emergency 1 | 350 | 2 hours
For example equipment A has seasonal limit of 1000 MVA normal rating and default reasonability minimum of 850 MVA and maximum of 1150 MVA can be filled out |  |  |  | Nomal | 311 | Contineous 24 hours
Example only:
Dynamic Normal rating ICCP ID | Normal ratings Duration (Minutes) | Max Reasonability Limit for Normal rating | Min Reasonability Limit for Normal rating | Dynamic Emergency 1 ICCP ID | Emergency 1 ratings duration (Minutes) | Max Reasonability Limit for E1 | Min Reasonability Limit for E1 | Dynamic Emergency 2 ICCP ID | Emergency 2 ratings duration (Minutes) | Max Reasonability Limit for E2 | Min Reasonability Limit for E2 | Dynamic Emergency 3 ICCP ID | Emergency 3 ratings duration (Minutes) | Max Reasonability Limit for E3 | Min Reasonability Limit for E3 | Dynamic Emergency 4 ICCP ID | Emergency 4 ratings duration (Minutes) | Max Reasonability Limit for E4 | Min Reasonability Limit for E4
W0XX_5L76_NORM_LMT | 1440 |  |  | W0XX_5L76_EMER1_LMT | 120 |  |  | W0XX_5L76_EMER2_LMT | 60 |  |  | W0XX_5L76_EMER3_LMT | 30 |  |  | W0XX_5L76_EMER4_LMT | 15