## Submissions
Submitted by | (1) Submission Title | Category | (2) Has this issue been previously submitted | (3) Issue Description | (4) Proposed Initiative Description | (5) Business Justification | (6) Timing and Urgency | (7) Data
Bay Area Municipal Transmission Group (BAMx) on behalf of City of Palo Alto Utilities & Silicon Valley Power (City of Santa Clara) | Routinely Reevaluating the Need for All Previously-Approved Transmission Projects | Transmission | No | Current CAISO Transmission Planning Process (TPP) requires the CAISO to select mitigation projects with rudimentary studies of cost/environmental impact of proposed projects. Transmission projects take a long time to permit and construct, and there's a high chance that changed circumstances will affect timing/selection of most effective project to meet reliability needs. Almost 30 projects approved by CAISO under TPP more than 10 years ago that have not begun construction. The CAISO should have a systematic process to select projects for re-evaluation and re-evaluate all projects selected for each TPP. | Develop stakeholder process to define when re-evaluation would occur. Consider doing so as part of existing annual transmission process. | Enables prioritization of transmission projects most needed for reliability or policy needs to interconnect renewables --> connected to strategic objective of reliably and efficiently integrating new resources. | See (3) | See (4)
| Providing Local Regulatory Authorities with Better Guidelines to Develop Resource Portfolios in Close Proximity to the Existing Transmission Network | Transmission | No | CAISO provides input into CPUC IRP capacity expansion process transmission capability information. CAISO develops Full Capacity Deliverability Status and Energy-Only Deliverability Status transmission capability estimates that limit amount and deliverability status of candidate resources that can be selected/mapped in transmission-constrained areas. CAISO relies on prior TPP and generation interconnection studies to develop this data. Data does not go far enough in identifying how many more FCDS and EODS resources can be accommodated by adopting grid-enhancing technologies, etc. on existing transmission corridors. Determination of transmission need in CAISO TPP driven by resource portfolios provided by CPUC for transmission planning cycle. If for resource area/zone, there are no reliability planning or deliverability criteria violations, CAISO does not identify GETs or reconductoring projects that could accommodate more resources in those areas. Propose that CAISO perform analysis to expand their database to explore existing ROWs' transmission capability fully, then feed this info into CPUC IRP so CPUC can select resources that might not be cost effective but can be built timely and with little transmission infrastructure delay/cost. | Operate in parallel to existing annual transmission planning process. CAISO creates database that identifies incremental FCDS and EODS resources that can be accommodated on major existing ROWs. | Reliably and efficiently integrate new resources; strengthen RA; stakeholder engagement. | Helps State meet policy goals and accommodate new resources in timely manner. | N/A
Bonneville Power Administration | Non-Generating Resources bid cap under 831 conditions | Bidding | No | NGRs limited to $1,000/MWh cap under 831 conditions. When exposed to $1,000 hard cap, NGRs unable to control INC/DEC dispatch and help bring price stability into market/reliability to grid. As a result, NGRs have to exit market when limited charge/discharge capabilities exhausted due to overly restrictive hard price cap. | Consider whether NGR bid cap is appropriate or if it leads to adverse price formation impacts on market participants. May include analysis of impacts of NGR bid cap on market outcomes. | Impacted parties: WEIM entities, participating resources. Particularly storage resources. | Improve market outcomes and resource availability when 831 conditions occur and increase incentives for NDR resources to remain in market during these events. | N/A
| Operational Enhancements in the WEIM | Process Improvements | Have been submitted as CIDI tickets. | (1) dual submittals of base schedules. For base ETSRs between one entity and another, only one entity can submit. (2) Allow EIM entity to set default limits for dynamic and static ETSRs. Currently if entity does not submit limit for ETSR it becomes 9999. | Address two previous issues. | Impacted parties: WEIM entities. | If do not address, continued errors/inefficiencies in market. | N/A
| Settlement Enhancements in the EIM | Settlements | No | (1) CAISO practices for resolving settlement issues/disputes. Currently don't allow price adjustments more than 5 days after operating day. (2) review policies and practices for resolution of appropriate outcomes in market and settlement-related resolution of financial outcomes. | Address two previous issues. | Impacted parties: WEIM entities. | If do not address, continued errors/inefficiencies in market settlement process. | N/A
| Exploration of congestion revenue allocation alternatives and impacts | Congestion | Unknown | Conduct a report from winter 2023/4 to better understand congestion revenue allocation during cold snap and winter period. Consider stakeholder initiative about how congestion rent flows to non-CAISO entities in DA market and EIM to inform EDAM and DAME congestion revenue allocation. | See previous. | Impacted parties: WEIM entities, participants in CAISO's day ahead market, future participants in EDAM/DAME. | N/A | Request report from winter 2023/24 to understand congestion revenue allocation during cold snap and winter period.
| Automated approval of outage changes in EIM | Process Improvements | No | When outage changes submitted to CAISO during real time, requires manual approval from CAISO. Propose automated outage data approval. | Explore automating approval of outage changes in EIM. | Avoid delayed CAISO responses that lead to updated outage data in WebOMS and incorrect pmax calculations. Impacted parties: WEIM entities. | Outdated outage data leads to inefficient operations in WEIM. | N/A
California Department of Water Resources | Increase Real Time Congestion Offset charges observed in 2021-23 | Congestion | No | RTCO charges normalized by LSEs' loads have increased steadily. 50% increase in 2021 and 2022. | Discuss how RTCO settlement could be designed to be a true neutrality charge code that reserves to each market participant the respective market participants' Hour Ahead and Real Time congestion rents. | RTCO charge code does not provide the CAISO stated neutrality and includes additional much larger charges than the reverse of the HA and RT rents collected from market participants. | Not addressing will further incur higher RTCO charges over time for all LSEs. | Existing data: RTCO data from 2009-2023 Missing data: reasons for spikes in 2021 and 2022. Granular breakdown of Charge Code 6774.
| Investigate need to split on-peak CRR into two times of use: on-peak and super-peak | Congestion | No | Current CAISO CRR design for TOU was suitable when CAISO load demand curve was one hump camel shape. With renewable generation, load demand curve has two humps and value of on-peak CRR that covers HE07 to HE22 has diminished considerably and is unpredictable. | Split on-peak TOU into super-peak (HE 17-HE21) and on-peak (HE07-HE16, and HE22) | Bring continuity and equilibrium to CRR market by marking CRR revenues more predictable, transparent. | LSEs will be better able to hedge DA congestion rents with CRRs. | Existing data: CRR revenues data can be used to determine best split for on-peak period.
| Eliminate global derate factor (GDF) from monthly CRR allocation processes if intended outcome of GDF application is minimal. | Congestion | No | Study how much GDR has helped improve CRR auction efficiency. Cover before and after implementation of Track 1B proposal. If improvement provided by GDF is minimal compared to improvement from Track 1B features, remove GDF from monthly CRR allocation processes. | GDF reduces LSE's ability to hedge congestion rents by reducing amount of CRRs LSEs can request in monthly CRR allocation process. Especially for LSEs that rely on hydro/variable output power forecasts b/c hard to estimate amount of congestion rents needed to be hedged with CRRs. CDWR's ability to obtain CRR In annual CRR allocation process also impact by other CRR design features. Reinstating ATC CRR for monthly CRR allocation process by eliminating GDR will benefit many LSEs. | LSEs' ability to obtain sufficient CRRs that would provide CRR revenues for adequate hedge of LSEs' congestion rents diminished by using GDF. | LSEs able to hedge congestion rents with CRRs when GDF eliminated. | Conduct study to estimate extent to which GDF benefits towards maintaining CR auction efficiency prior and after implementation of track 1B proposal.
| CRR Counter-Flow CRR | Transmission | Yes | Counter-Flow methodology implemented to maximize number of direct flow CRRs allocated from trading hubs (THs) to sink nodes when market participants to CRR allocation process request such CRRs. Many cases when CDWR requested direct flow CRRs from THs to CDWR sink nodes and received excessive amount of CF-CRRs. This could exacerbate CRR auction efficiency b/c when settled, CF-CRR might not be same value with direct flow CRR due to changes in CAISO grid that occurred when CRR market is settled. | CAISO explore ways to revise CF-CRR methodology used for allocating CRRs sourced at THs. Implement limit on ratio of x, y, z that reduces impact of excessive amount of direct flow and CF CRR in CRR allocation process. | By allocating too many CRR in allocation process, current design exacerbates CRR revenue insufficiency. | Sooner this fixed, sooner changes of CRR auction sufficiency met. | Analyze if excessive amount of direct flow CRR and CF-CRR impacted the CRR auction efficiency. Implement limit on ratio of x, y, z that reduces impact of excessive amount of direct flow and CF-CRR in CRR allocation process.
| Real-Time Load Bidding | Bidding | Yes (policy catalogs 2013-2023 "aggregated pumps and pump storage") | Participating load resources can't bid demand in RT market. Allow load resources to bid in RT to increase or decrease energy consumption. Would reduce barriers to participating load's participation in wholesale DR and help system reliability during abnormal grid conditions. | Explore models to allow participating load resources to bid in demand in RT market. | Improve system reliability during overgeneration periods. Participating load resources could better respond to ramping needs by shifting demand during critical ramping periods when water conditions permit. Provide ISO more visibility on how much flexibility each participating load resources may have during RT conditions. This assists w/ load forecasting to improve grid reliability. | No | N/A
Public Advocates Office | Allow competitive bidding on regional projects above 100kV | Transmission | No | FERC Order 1000 removed incumbent utilities' right of first refusal from FERC jurisdictional tariffs w/ exceptions for local transmission facilities and transmission facility upgrades. Difference between CAISO tariff's definition of local transmission facility and Order 1000. CAISO separates regional and local projects at 200 kV. This is arbitrary. CAISO missing out on cost-effective projects, to detriment of ratepayers. | Increase scope of projects eligible for competitive bidding. For projects between 100kV and 200kV, project should be eligible if clear regional benefit. CAISO should determine which measurable regional benefits a project must provide to qualify. | See proposal for how supports strategic objectives. Reduces project costs and benefits ratepayers by reducing rate burden. Can avoid increasing backlog of TPP approved transmission projects by distributing more projects among different developers through competitive bidding. Which increases number of projects completed on time, helps CAISO reach transmission goals and CA clean energy goals. | Impacts to ratepayers: more projects prevented from being competitively bid = greater ratepayer burden of imprudent costs for transmission projects. | Provide chart of competitive bidding project exclusions by other ISOs. Should address type of regional benefits can be quantified at CAISO when projects are being considered eligible for competitive bidding. Investigate if projects award to IOUs but not completed could be put up for competitive bidding.
| Add schedule incentive clause to APSA | Transmission | No | CAISO does not require schedule incentive to be included in project sponsor's competitive bids and is not required term in APSA. Should become standard term in APSA b/c timely completion of projects can help contain costs, maintain grid reliability, fulfill climate goals. | Include schedule incentive in standard terms of APSA. | See proposal for how supports strategic objectives. | Impacts to ratepayers magnified as more projects subject to competitive solicitation. | See proposal for description of projects that have not yet been energized by have been approved.
| Add enforceability of cost containment terms to approved project sponsor agreement (APSA) | Transmission | No | APSA does not contain clear language where project sponsor agrees terms are legally binding and will be enforced in FERC rate case. Also doesn't include explicit statement that cost overrun not excepted out in Appendix E may not be recoverable in FERC rate case. Developers may attempt to skirt existing terms to recover expenses not approved in APSA. Cost recovery uncertainty exposes ratepayers to higher costs. | Add provision to APSA terms that project sponsor agrees all terms are legally binding and enforced in FERC rate case, including maximum costs/cost containment measures. Also add statement that project sponsor agrees any cost overrun not excepted in Appendix E is not recoverable in FERC rate case, and that FERC has authority to enforce maximum costs/cost containment measures. | See proposal for how supports strategic objectives. By standardizing APSA cost containment terms enforceable at FERC, CAISO can ensure ratepayers only paying for what benefits them. | Impacts to ratepayers: if don’t address, CAISO's ability to regulate costs of competitively bid projects may result in CAISO ratepayers bearing costs of imprudent investments. | See proposal for costs associated with specific projects.
CESA | Allow storage to bid up to $2,000/MWh during high-price conditions | Bidding | No | During high-priced conditions storage resource energy bids cannot exceed $1,000/MWh whereas non RA imports and LPT exports can bid up to $2,000MWh with no cost justification. Internal generation with cost verified bids can bid above $1,000/MWh and RA imports can bid up to calculated max import bid price which is greater than $1,000/MWh. Result: CAISO market optimization sub-optimally depletes storage resources SOC before peak need later in day b/c storage resources can't reflect this opportunity cost in energy bids. | Allow storage resources ability to bid up to $2000/MWh during high price conditions. | N/A | Should implement by Summer 2024 | CAISO has highlighted that storage discharged too early.
| Accurate modeling of storage at high/low SOC | Storage | Yes (CESA's expectation that it's within scope of ESE) | As storage resources near max SOC, charging power rate to receive additional charging dispatch reduces rapidly. When nearing min SOC, discharging power rate to receive additional discharging dispatch reduces rapidly. Current non-generator resource model uses single power rate regardless of SOC, leads to infeasible dispatch instructions from market for storage. Since storage resources unable to respond as modeled in market, operators have to rely on reg resources or out of market actions to maintain reliability. | Review non-generator resource model and new models that observe different charging/discharging rates of storage resources based on SOC. | N/A | Start ESE initiative ASAP or address through another avenue. Reliability impacts will grow. | N/A
| Enhanced storage bidding to better reflect SOC marginal costs | Storage | Yes (CESA's expectation that it's within scope of ESE) | Currently, storage resource can submit 10 segment bid curve across its operating range, but marginal cost to charge/discharge is different based on SOC. Willingness to charge/discharge varies across operating range ability to ensure that even under mitigation the relative value associated w/ these segments is retained will improve storage awards/dispatches under mitigation. | Review non-generator resource model and new models that support energy bids that reflect marginal cost to charge/discharge based on SOC and allow energy bids when mitigated to retain their relative willingness to charge/discharge by segment. | N/A | Start ESE initiative ASAP or address through another avenue. Reliability impacts will grow. | N/A
| AS Real Time Re-Optimization | Storage | Yes. AS deliverability in Phase 3 PFE; AS SOC constraint changes should be included. | Currently, only incremental AS procured in FMM. Storage resources must maintain sufficient SOC to meet continuous discharge requirement for AS. If SOC insufficient to meet SOC, market will charge/discharge storage resource without considering tradeoff between charging/discharging or paying to reprocure AS from another resource at lower cost. | Change As SOC constraint to allow more efficient management of storage resources in FMM and RTD. Change upper economic limit and lower economic limit of storage resources to ensure incremental AS procurement is identified/full re-optimization performed without issuing storage energy awards. | N/A |  | N/A
| Long Duration Energy Storage as a Transmission Asset | Storage | No | Currently have rules for storage resources to address short term contingencies which would have triggered reliability upgrades in transmission plan. Propose to review ability of long duration energy storage to address reliability, economic, policy upgrades. | Storage resource can recover costs through TAC and prohibited from participating in CAISO energy market. Long duration storage can expand transmission system but needs to be able to recover additional revenues through wholesale energy market. | N/A | Transmission project lead time much higher than storage resource development. Need to expand transmission capability ASAP. | N/A
CLECA | RDRR minimum on time and pmin economic evaluation for dispatch | Demand Response | Yes (RDRR initiative 2024) | CPUC decision allowed CAISO to use RDRR at EEA 1, which allows CAISO to enable bids for the resources into market before EEA 1. Concerned about increased chances of economic dispatch and attrition of customers from retail programs, reducing RDRR capacity. Also need resources' physical operating characteristics to be accurately reflected in order to effectively optimize dispatch of RDRR. | Allow RDRRs to reflect min on times greater than one hour to more accurately reflect RDRR run times in CAISO's market optimization and dispatch. Address issue of RDRR min on time not being considered in economic evaluation for dispatch (see RDRR MOT proposal). | MOT not being considered in economic evaluation for dispatch of RDRRs creates inaccuracy in optimization of reliability resources and market inefficiency. | Urgent. RDRR providers concerned about inaccurate economic evaluation of resources for dispatch and risk of excessive dispatch. | Missing data: how to reform pmin settings and treatment for RDRRs so MOT can be considered in economic evaluation for dispatch.
| RDRR fixed cost per dispatch | Demand Response | Unsure | RDRR participating customers incur fixed costs associated w/ curtailment and startup per dispatch event rather than based on event duration. No currently reflected in RDRR dispatch parameters. | Explore methods to consider fixed costs in economic dispatch decisions for RDRR. | Improved accuracy in economic dispatch of reliability resources. | Customers providing RDRR concerned about accuracy of economic evaluation of their resources for dispatch. | Missing data: how to calculate appropriate fixed cost per dispatch for heterogeneous RDRR resources.
DMM | Improve ability for non-gas resources to submit reference level change requests | Bidding |  | When $2000/MWh bid cap in effect, internal resources must submit reference level change request to submit energy bids over $1000/MWh soft bid cap. Less guidance for non-gas resources to submit reference level change requests. Particularly issue for non-gas resources that face intraday opportunity costs, including battery and hydro. | Consider improvements to reference level change request process to ensure non-gas resources are able to submit requests to accurately reflect costs in DEBs when $2000/MWh bid cap in effect.
| Default energy bids for storage resources that reflect intraday opportunity costs | Bidding |  | Intraday opportunity costs faced by storage vary by hour depending on SOC and future charging/discharging opportunities. | Allow storage DEBs to vary by hour to allow DEBs to accurately reflect hourly charging intraday opportunity costs while continuing to mitigate local market power in hours of lower opportunity cost.
| Changing CRR auction to market based on willing sellers. | Congestion |  | Transmission ratepayers losing money under CRR auction design: $312 million since 2019. Model creates large amount of price taking CRR supply which transmission ratepayers are obligated to take back. | ISO should stop offering CRR positions on behalf of transmission ratepayers at $0 offer prices. Open policy initiative to alter CRR auction design to trades only take place between willing sellers bidding into market for these financial contracts.
| BCR for battery storage | Storage |  | Need new BCR rules for battery storage resources to mitigate potential gaming opportunities and improve efficiency of market dispatch when DA SOC values deviate significantly from actual SOC values in RT. | Develop revisions to BCR rules for battery storage resources.
GridStor | Enable non-generating resources to participate in inter-SC trade (IST) | Storage | No | Standalone battery storage projects not available to be selected in "location" dropdown list for transacting physicals in IST. Categorized as non-generating resources. | Allow non-generating resources to participate in inter-SC trade and offer physical energy product in order to continue effective integration of higher capacities of energy storage and meet RA and GHG compliance goals. | Increases market efficiency, reduces uncertainty in preschedule window. Complements existing RA structure. Meets regulatory requirements from FERC to avoid undue discrimination. | Can be completed with minimal resource needs. | No data needed.
Idaho Power Company | Resource sufficiency evaluation de minimis band enhancement | Resource Sufficiency | No | De minimis RSE failures are insignificant and don't cause reliability concerns. | Create a de minimis band that if scheduling coordinators fail the RSE by a de minimis amount, entity is not deemed to have failed the entire test and can still participate in EIM. | Alignment with EDAM market design. | Not addressing may result in unnecessary EIM transfer restrictions and unnecessary financial penalties for small failure amounts. | None.
| Metering enhancement | EDAM/WEIM | No | Metering requirements for all new resource types need to be provided for entities located outside California BAA because they may be different than those inside CA BAA. | Create clear metering guidelines for all new resource types and provide information related to storage for EIM entities that do not have resources inside California BAA. | Simple and clear guidelines will ensure consistency among EIM entities in metering setups. | Failure to address will lead to confusion, inconsistency, incorrect settlements, delay in setting up meters and bringing in new resources to EIM. | None.
Joint Demand Response Parties on behalf of: OhmConnect, CA Efficiency and Demand Management Council, Leapfrog Power, Inc. | Device-level metering proposal | Demand Response | No | Majority of smart devices are not measured/controlled for demand flexibility. Potential benefits to grid: 4 GW of controllable flexible load today and 20 GW by 2030. Issues: CAISO has limited visibility into quantity/type of devices behind meter that can respond to market signals. Meters only record data and do not modify load. Current smart meter based rules limit participate to single DR provider. Authorization process for sharing utility meter data cumbersome and lowers DR customer completion/follow through. Smart devices not interoperable by single DRP. | Modify Demand Response Registration System to accommodate device level locations. Device level energy usage data should be permitted for performance evaluation and settlement of proxy demand resources. [citations for necessary tariff changes included] | Device level info for DR has following benefits: increase participation of DERs in ISO's wholesale energy market. Faster and more accurate measurement of load curtailment. Increase visibility into quantity/types of devices responding to market signals. Greater customer choice of DRP for devices, aggregators, or IOUs. | Integrating new resources and strengthening RA. | None.
| Modified proxy demand resource proposal | Demand Response | No | mPDR is variant of PDR that enables customers with behind the meter storage to have exports counted by netting performance at sub-load aggregation point level rather than having exports zeroed out at individual customer meter level. Existing PDR performance evaluation options are metering generator output (MGO) and proxy demand resource load shift resource (PDR-LSR). Both are problematic because require separate metering of generator in addition to utility meter and intervals with exports do not receive full credit for settlement. | Create new variant of PDR called mPDR to more accurately reflect load reductions of PDR participants with BTM storage and Rule 21 export permits. [citations for necessary tariff changes included] | Incentive greater participation of BTM storage in RA program and WEIM. | Addresses California's capacity shortage. | None.
Joint LSEs (CalCCA, Shell Energy North America, Six Cities) | Maximum Import Capacity (MIC) enhancements | Deliverability | No | LSEs facing challenges in contracting out of state resources for IRP and RA b/c of lack of availability of MIC and uncertainty about MIC in future. CA depends on contracted import capacity for OOS entities. | Explore MIC calculation and allocation methodology. Follow-on to deliverability initiative. | Impacted parties: LSEs, resource owners/developers out of state, CA electricity customers. | CalCCA data shows RA supply insufficient to meet RA requirements in 2024 and 2025; imports are one of few options to increase supply stack in short term, and having ability to obtain MIC to support imports could be critical. | Aggregate and publish data showing total MW of unused MIC by branch group. If significant amount of MWs went unused at valuable branch groups, allocation process needs enhancements. If not unused MW at valuable branch groups, overall availability of MIC is issue and focus on expanding total MIC available to LSEs.
Joint Storage Stakeholders (REV Renewables, AES Clean Energy, Terra-Gen, Vistra) | Accurate modeling of storage at high/low SOC | Storage | REV Renewables raised in ESE initiative | See CESA's proposal
Large-Scale Solar Assoc | Transmission capability estimates: increased transparency | Transmission | No | Transmission capability estimates whitepaper provides key inputs to CPUC's resource planning models that limits resources selected in transmission-constrained areas. Current process for developing whitepaper is not transparent. No timetable for CAISO posting on website or opportunity for stakeholder engagement. | Establish stakeholder process to support development of transmission capability estimates whitepaper. CAISO should post draft whitepaper then hold stakeholder call to coincide w/ CPUC's Modeling Advisory Group discussion of inputs for IRP. CAISO accepts round of stakeholder comments and sends final whitepaper to CPUC. | Increases stakeholder knowledge about where to focus resource development. | Begin w/ IRP cycle that starts summer 2024 with MAG inputs/assumption discussion. | None.
| FERC compliance filings: increased transparency | Process Improvements | No | CAISO doesn't invite stakeholder participation in development of FERC compliance filings, but how CAISO implements FERC rules impacts market participants. | Establish stakeholder process to support development of FERC filings. Discuss appropriate cadence for drafts/stakeholder calls, process for stakeholder feedback, what to do when FERC deadlines don't provide time for stakeholder feedback before filing. | More engaged market that responds to new requirements. | Establish this ahead of upcoming major FERC filings. | None.
| Variable energy resources providing ancillary services | Ancillary Services | Yes | Current CAISO AS practices not designed to support variable resources. | Refine AS rules to facilitate more participation by intermittent resources in AS markets. | Integrate new resources. | No specific time-sensitive reliability impact. | CAISO can provide data on participation and performance of current variable resources participating in AS market to allow stakeholders to determine where problems are, target solutions.
Middle River Power | Allow multi-stage generating (MSG) units to be used within an Aggregate Capability Constraint (ACC) | Storage | No, but have discussed with ISO staff. | MSG, pumped storage hydro units can't be used within ACC. MRP owns combined cycle generating unit that shares interconnection with BESS resources. Required to register unit as MSG resource which forbids MRP from applying ACC to these resources. Allowing resources to operate under ACC would allow them to be used more efficiently. | Undertake stakeholder process to allow other resource types, including MSG units, to be operated within an ACC. | Makes better use of existing interconnection capability. | MRP cannot optimize use of MSG and other resources behind single interconnection constraint, depriving them and CAISO market of efficient use of resources, hindering deployment of battery energy storage. | Need: what other market participants and MW total impacted.
Northern California Power Agency | Hydrogen electrolyzer market participation | New supply technology | No | Hydrogen electrolyzer technology cannot participate in CAISO markets. | Develop market rules for use of hydrogen electrolyzer technology, and enable hydrogen electrolyzer tech to participate in CAISO markets. | Supports system reliability. | Need to understand how technology will participate in market. | N/A
NV Energy | Gas management | Gas Management | Yes | 11 problem statements from gas management working group. Should include all problem statements. | Expedite stakeholder initiative for 11 problem statements developed in gas management working group to ensure EIM and EDAM participating entities have tools to manage gas constraints. | Gas management issues have been ongoing for Desert SW region in EIM, major consideration when considering joining EDAM. | Top priority for NV Energy. | N/A
| DR and RSE | Demand Response | No |  | Support EIM demand response enhancements to proxy demand response. Also support evaluating higher de minimis tolerance band for RSE. | N/A | N/A | N/A
PacifiCorp | Proxy demand response enhancements | Demand Response | No | Dec 2020: pacificorp presented lessons from trying to register DR programs as proxy DR (PDR). Found that for specific irrigation programs, CAISO's baseline methodologies didn’t perform well and PDR process was cumbersome for non-CAISO entities. Need changes for non-CA market participants. | Open stakeholder process for proxy demand response programs to create program that integrates needs of WEIM and future EDAM entities. | Goal: PDR program that allows all market participants to equally participate in market. | Issue will get worse as more non-CA entities join EDAM. | In preparation for stakeholder process, CAISO should complete baseline methodology update. Include data on existing/planned DR programs across WEIM and info about metering infrastructure among non-CA based WEIM entities.
| Gas resource management enhancements | Gas Management | No | Address problem statements from gas management working group (see NV energy) | Address problem statements identified in working groups related to 2 day-ahead advisory, reference level costs, gas burn limitations. | N/A | N/A | CAISO should show how accurate 2 day ahead advisory would be using inputs CAISO currently receives from market participants.
| Scarcity pricing enhancements | Price Formation | No | Inefficient price signals during supply shortages due to lack of scarcity pricing for WEIM. | Address potential inefficiencies of price formation in WEIM during scarce supply. Address challenges w/ price formation due to out of market actions by operators. | By improving price signals during supply scarcity, WEIM can access all capacity available to the market, incentivize performance, increase price certainty for future developments. | N/A | CAISO should show amount of supply not dispatched as energy during July 2023 heatwave. More info from CAISO on how much supply is available during market during supply scarcity.
| BAA-level MPM | Price Formation | No | PFE working group. Move problem statements into full initiative. | Improve BAA level MPM for WEIM and EDAM to lead to market optimization less frequently mitigating resources that don't have ability to exert market power. | N/A | N/A | N/A
| De minimis tolerance band enhancements for WEIM | Resource Sufficiency | No | See Idaho Power's proposal and Portland general electric company | Create less WEIM RSE failures for small failure quantities. | N/A | N/A | N/A
| Beyond price-based GHG policy | GHG | No | Currently unclear how BAAs subject to state policies with declining emissions targets will have their load served while also maintaining compliance with these programs. | Highlight one problem statement from working group related to market's inability to account for GHG emissions reductions programs that have declining cap rather than price component and therefore can't be included in market optimization. | Help inform decision to join EDAM. | N/A | N/A
PG&E | AS provided by solar resources | Ancillary Services | Yes | See Large Scale Solar Assoc. entry | N/A | N/A | Consequences of not addressing: potential shortages/volatility in AS market. | N/A
| Long duration energy storage initiative | Storage | No | Need regulatory and market design structures to integrate LDES before they come online. | Umbrella initiative including: enhancing existing resource models, defining RA must offer rules, evaluating market processes/timelines. Can existing models for hydro be expanded for monthly/seasonal storage? | Ties into CPUC's procurement mandate for LDES resources and SOD. | Should follow EDAM implementation. | Pumped hydro storage data: can these resources be folded into LDES initiative and share common resource model?
| Revision of DR control group settlement methodology to improve accuracy and operational feasibility | Demand Response | No | Tariff and BPM unclear as to whether a "hold out" or "matched" control group approach allowed [see proposal for high level of detail]. Do not articulate baseline adjustments to account for error, may be residual bias from differences between control group and DR program participants. | Modify tariff and BPM descriptions of control group settlement methodology to correct previous issues [see proposal for specific recommendations]. | LSEs and DRPs will have more accurate and accessible info about DR performance and settlement. Prevent complications in dual enrollment between LSEs and third party DRPs. Improve LSE and DRP confidence in CAISO market operations. | Preferable for CAISO, LSEs, DRPs to have more accurate settlements when providing DR program services. Resolving will improve customer experience when participating in CAISO markets. | CAISO's randomization validation template suggests error metrics which may not be adequate to address validity between control and treatment groups.
| CAISO BAA reliability and CAISO day ahead self schedule | EDAM/WEIM | No | Net export transfer constraint. For CAISO BAA doesn't extend to day ahead economic/self-scheduled exports to non-EDAM BAAs. Risks to CAISO BAA: CAISO BA can still fully extend itself through self-scheduled/economic exports to non-EDAM BAAs, exposing it to real time deviations. Loophole may also create disparity in treatment between EDAM participating and non-EDAM BAAs, granting non-EDAM BAAs greater access to self scheduled exports. | Close loophole where self scheduled exports to non-EDAM BAAs can undermine reliability margin preserved by day ahead net export constraint. | Avoids potential for CAISO to extend beyond resources it controls within the BA to deliver reliability. | CAISO BAA can be fully extended which poses reliability issue for CAISO BAA and emphasizes importance of addressing before EDAM deployment. Topic also may interact with scarcity pricing as part of PFE initiative. | CAISO BAA can be fully extended which poses reliability issue for CAISO BAA. May impact scarcity pricing mechanism as part of PFE.
Portland General Electric Company | Proxy demand response enhancements | Demand Response |  | See PacifiCorp's submission.
| Energy storage enhancements | Storage |  | First wave of energy storage resources to come online in 2024, need right market mechanisms to avoid them risking excessive cycling. Risk of over/under utilization of AS if controls are not defined and simplified for managing BESS with SOC requirements correctly captured in ISO market designs. | Address differentiating market requirements between CAISO BAA and non CAISO BAA energy storage resources. Simplify initial setup and operations for these resources to participate in WEIM and EDAM. | Many market participants impacted, including WRAP participants. | First wave of storage resources coming online 2024, if right market mechanisms not in place resources risk excessive cycling. Potential risks of over/under utilization of AS if controls not defined/simplified for BESS with SOC captured correctly. | N/A
| Scarcity pricing enhancements and BAA-level MPM | Price Formation |  | Move both into formal stakeholder process (see PacifiCorp's recommendation)
| De minimis tolerance band enhancements for WEIM | EDAM/WEIM |  | See Idaho Power's proposal
Public Generating Pool | PFE enhancements | Price Formation | Yes (item 5.4) | See PFE issue paper. Prioritize which scarcity pricing topics will be addressed before EDAM go-live. | Focus on differentiating market operator function from CAISO BA's function to enable level playing field while enabling reduction of out of market actions by market operators. Also support exploring fast start pricing again. | Prioritize initiatives that form out of PFE working group. Scarcity topics in particular should be prioritized in advance of EDAM go-live since it is critical to success of EDAM and can impact all market participants. Also focus on differentiating market operator function from CAISO's BA function. | Price formation critical to regional participants deciding whether to join EDAM. | Deep dive on recent tight system events to document use of out of market actions and price formation impacts. Including FERC 831 triggered price periods.
| GHG working group | GHG |  | See GHG working group issue paper. | See issue paper from GHG WG. | Direct link to ability for market participants to comply w/ statutory obligations. | Participants considering EDAM need confidence they can comply with regulatory obligations and appropriately value non-energy attributes of portfolios to correct loads in market. Urgent implications for WA and CA utilities. | Support in developing examples may be useful. Proposed evergreen trainings would be valuable.
| FERC order 831 implementation solution to opportunity cost based DEBs when prices/costs exceed the $1000/MWh soft offer cap | Storage |  | See other submissions.
| Use limit and opportunity cost enhancements | Bidding | Yes (Catalog item 6.1.9) | Use limited resources have to be able to reflect fuel limitations and opportunity costs in their DEBs to avoid dispatching at inappropriate times. | Mechanisms to add in additional parameters or conditionals that shape bids and dispatch of use limited resources. | If use limited resources dispatched at inopportune time due to inability to reflect costs it could have price formation or reliability impacts on broader market, discourage resource participation. | See previous. | N/A
| Seams management | EDAM/WEIM | No | Lack of economic interchange at non-CAISO EDAM borders will limit ability of EDAM to coordinate market to market interchange with any neighboring market with which it has a seam. | Working group to explore seams management for future EDAM seams. Document seams management topics, frame tools for resolution. Partnered w/ WPTF in whitepaper. | Coordination with neighboring markets critical to realizing market benefits and reliable operations. | See previous. | Analyze recent price events related to seams between ISO and bilateral markets. Summarize new seams and changes to WEIM footprint/seams based on initial EDAM participation pool.
Sacramento Municipal Utility District | DERs for external BAAs | EDAM/WEIM | No | Need to harmonize WEIM entities' DER portfolios and market operation. If WEIM entities utilizing these resources in planning window, should be incorporated into operational window too. Not currently CAISO market mechanism to incent DERs in external BAAs which creates uncertainty in SMUD's planning for RA resources. | Extend and harmonize DR/DER programs within WEIM and EDAM. | Expanding CAISO's DER market capability to external BAs critical for WEIM/EDAM entities. | EDAM launch is critical implementation date for this initiative. | N/A
| Tolerance band enhancements for WEIM | EDAM/WEIM | No | Under EDAM, there's a tolerance band for de minimis tier 1 failures. This is important EDAM function. Need similar de minimis tolerance band in WEIM if entity fails RSE. | Develop similar de minimis tolerance band in WEIM as one in EDAM for Tier 1 failures. |  | EDAM launch is critical implementation date for this initiative. | N/A
| GHG policy initiative | GHG | No | Develop initiative to address CAISO's standards for tracking GHG. |  |  | EDAM launch is critical implementation date for this initiative. | N/A
Salt River Project | Base scheduling below pmin enhancement | EDAM/WEIM | Yes (2022 and 2023 catalogs) | 2021: market simulation to test ability to submit base schedules below pmin to account for startup energy. Showed startup ramp time parameter specified in the generator resource data template not flexible enough to allow use of warm and cold startups. | Goal: enhance market's flexibility in scheduling startup energy and ensure market's internal dispatch operating targets reflect actual unit capabilities by: modifying GRDT to include separate parameters for hot/warm/cold startup ramp times, and allow base scheduling below Pmin to represent different startup conditions. | See proposal for alignment with strategic goals. | Need to align market ops with realities of generating unit startups. Delaying resolution will hinder efficient integration of resources with variable startup times, impacting reliability. | Existing: historical instances where base scheduling below pmin needed for startup energy, including data from market simulation tests. Missing: detailed operational data distinguishing between hot/warm/cold startups profiles for various unit types, and their respective ramp times, to model impact of allowing base scheduling below pmin for these conditions.
| Accounting for upward transition costs in settlements after economic commitments to lower configurations | Multi-stage generation | Yes (2022 and 2023 catalogs) | Case where multi-stage generator (MSG) base scheduled in an upper configuration but instructed to transition to lower configuration per economic commitment by WEIM. STUC run did not identify need to transition back up to higher configuration shortly after STUC horizon. Unit met min down time but did not stay in lower configuration much longer. Transition cost not accounted for in market decision to move back to upper configuration in subsequent market run b/c unit continued to be base scheduled in upper configuration. Transition cost also not accounted for in BCR. | Ensure fair compensation for transition costs resulting from market instructions by: - Introducing settlement adjustment to account for costs for transitioning between configurations as directed by market -Modifying BCR process or similar to include transition costs not recovered due to market optimized commitments to lower configurations. | See proposal for alignment with strategic goals. | Needed to maintain market fairness and participant trust. Financial disincentives for compliance with market instructions currently. | Existing: Examples of MSGs being economically committed to lower configurations w/o subsequent accounting for transition costs in upward transitions. Missing: Cost analysis data detailing financial impact of unaccounted transition costs, included instances of economic commitments leading to losses due to not recovering transition costs.
| Market to not provide zero dispatch operating targets causing infeasible solution | EDAM/WEIM | Yes (2023) | Cases where bids missing for resources and market solution was to provide zero dispatch operating targets. Causes reliability issues for BAA operations. CIDI ticket exists and CAISO has proposed solution. Other market participants have concerns. | Prevent operational and reliability issues caused by DOTs . Implement mechanism to provide non-zero DOT aligned with base schedule of resource instead of zero DOT under scenarios where bid misalignment will cause infeasible market solution. | See proposal for alignment with strategic goals. | Need to prevent further instances of infeasible solutions and reliability issues. | Existing: incidents where zero DOTs issued due to bid misalignment. Missing: analysis of conditions leading to zero DOT and evaluation of market's responses
SDG&E | FERC order 831 alignment for energy storage resources | Bidding |  | $1,000 soft bid cap for storage
Seattle City Light | Storage resources bid cap limit | Bidding |  | $1,000 soft bid cap for storage
SCE | AS pay for performance accuracy calculations | Ancillary Services | Yes | Issues with methodology CAISO uses to evaluate, verify, dispute regulation pay for performance accuracy calculations. Issues with how market dispatches very small reg up/down awards are measured for regulation accuracy. Measurements of such small quantities are useless in proving if resource can provide accurate amounts of reg awards. Market rule also doesn't consider how gas-fired generation w/ spinning mass and inertia cannot respond to extremely short duration and small quantity reg up/down dispatches when on AGC. | Focus on -Small award for resources with large pmax -small awards for resources regardless of pmax -short duration (seconds) dispatches per 15 min interval -small count of 15 min intervals w/ awards per month -data availability for verification -dispute process -etc. | Strategic objective 1 | Burden on SC to recertify AS resources, impacting CAISO's ability to procure AS reg resources b/c require recertification. Impact number available reserves w/in CAISO market. | N/A
| Evaluating and addressing market rule inconsistency among 5/15/60 min bid options for DR resources | Demand Response | Yes | RDRR participating under FMM and 60 min bid option does not have their start up time accurately modeled in market. Startup time registered in RDT is ignored and a hard-coded startup time used in market clearing and generating dispatch. Startup time only respected in 5 min bidding option. Discourages resources from participating under 15 min or 60 min options. | Address inconsistency in market rules applying to RDRR. Allow for any RDRR bid option to utilize startup time listed in RDT. | Strategic objective 1 | Will better reflect RDRR dispatching capabilities and response times. | N/A
| Remove RDRR discrete dispatch limit of 100MW | Demand Response | Yes | CAISO limits RDRR to discrete dispatch limit of 100MW even if resource is larger than 100MW. IOU DR programs are aggregation of thousands of customers, not practical to break up to stay under 100MW limit. | Eliminate 100MW cap or change exception criteria for discrete RDRR resources above 100MW to participate in CAISO market without unnecessary restrictions. | Strategic objective 1 | SCE has multiple RDRRs that exceed 100MW and require discrete dispatching. | N/A
| Aligning energy storage bid cap with FERC order 831 | Bidding |  | $1,000MWh soft offer cap |  |  |  | N/A
Terra-Gen | Allow storage to bid up to $2,000/MWh during high-price conditions | Bidding |  | 1,000MWh soft offer cap
| Hybrid and co-located resource enhancements | Storage | Yes | CAISO hasn't fully documented appropriate use of hybrid or colocated operational tools or interactions with them with other processes [examples included]. | Hybrid and co-located resource market design and participation provisions |  | Resources continuing to grow in number, need clear guidance for participation in markets. | Review of tariff/BPMs applicable.
| RA provisions for hybrid resources | Resource Adequacy | No | Review treatment of hybrid/co-located RA rules and procedures. | Review and discuss treatment of hybrid and co-located RA related rules and procedures. |  | Resources continuing to grow in number, need clear guidance for participation in markets. | Review of tariff/BPMs applicable.
The Energy Authority | Internal and external market seams | EDAM/WEIM | No | Integrate internal/external market seams issues, which will likely surface in PFE, GHG coordination, and other areas. | Gap analysis of current operations, market design elements, in-process initiatives, business practices. |  | Seams issues immediate threat to efficiency and reliability of CAISO's day ahead, hourly bilateral intertie, and WEIM/RT markets. Future seams issues will be present in future initiatives as well. | N/A
Vistra | Energy storage outage improvements | Storage | Yes (to CAISO management) | Need improvements to support day-to-day operations of non-generator resources (NGR) being impacted with lack of clarity on storage outage reporting requirements and ineffective outage management. | Clarify rules and automate manual processes that operations teams must perform related to outage cards and address concerns w/ delays in communicating real time physical capability of storage resources. |  |  | N/A
| RA Improvements | Resource Adequacy | Yes (CPM and Gas Resource Management WG, other communication w/ CAISO teams) | Existing RA rules that cancel planned outages that do not also show substitution capacity are burdensome, disincentivize capacity available for most of a month that has not been able to procure substitution capacity to cover small outage. | Improve how planned outage substitution obligations defined/enforced/addressed. [see proposal for detailed scope] |  | Reduces amount of RA capacity available to meet summer 2024 needs. | N/A
| Energy storage bidding and mitigation enhancements | Bidding | Yes (ESE and PFE) | $1,000MWh soft bid cap Storage resources subject to dynamic local MPM and BAA level MPM depending on location. Neither MPM prices nor IFM prices when used to estimate day ahead or real time opportunity cost are fully accurate. | Explore enhancements to storage mitigation rules to better ensure when mitigated its use limitation is appropriately valued in the mitigated energy price. |  | Undermines reliability and should be addressed by summer 2024. | N/A
| Commitment costs bidding enhancements | Gas Management | Yes (Gas Management WG and other stakeholder processes) | 2017 final proposal that was not implemented has most of the proposed scope. | See proposal for full scope, including implementing approved bidding rule changes to address gas management issues raised in CCDEBE. |  | ASAP: ideally summer 2024 or 2025. | N/A
| TPP enhancements | Transmission | Yes (interconnection process enhancements 2023) | Limited avenues for merchant deliverability options to pursue option to pay for portion of network upgrade increasing deliverability on transmission system in exchange for receiving benefit of Transmission Plan Deliverability allocation. | Enhancements to existing TPP to ensure sufficient transmission across CAISO BAA or into local areas to meet clean energy goals. |  | Implement to impact 2025 TPP. | N/A
WPTF | CRR enhancements | Congestion |  | Inefficient CRR outcomes, issues hindering CRRs to be effective risk mitigation tool. | Targeted analysis of drivers of CRR shortfall settlement, how to protect CRR holders from shortfall risks.
| Transparency | Process Improvements |  | Improve transparency. | Policy effort to create on-going transparency effort to provide stakeholders with ability to consistently communicate with CAISO.
| Stakeholder working groups | Process Improvements |  | Working groups fall short at articulating issues, gaining stakeholder consensus. | Policy effort to revamp stakeholder policy initiative framework that includes voting structure etc.
| Fast track effort | Process Improvements |  | Need process to address urgent issues. | New process to address urgent issues.
| Internal and external market seams | EDAM/WEIM |  | Market seams exist and may present issues. | Identify and address internal and external market seams issues.
| EDAM enhancements | EDAM/WEIM |  | Unspecified.
WEIM Body of State Regulators | Price Formation Enhancements | Price Formation | Yes | Recommend prioritization of this initiative, including completion of Phase II of PFE before EDAM go-live. Prioritize Phase I in order to address components of RSE Phase 3, DAME, and EDAM. Also recommend PFE be its own Critical Strategic and Tactical Objective and be moved to top of ISO's priorities (see BOSR comments April 2023 Roadmap)
| Resource Sufficiency Evaluation Enhancements Phase 3 | Resource Sufficiency | Yes | Recommend the ISO begin stakeholder workshops for RSE Enhancements Phase 3 as soon as possible. CAISO should monitor financial consequences to ensure they create incentives and results the WEIM GB and BOG intended. |  | Financial consequences for failing the WEIM RSE could have significant impacts on BAs that fail the test and opt in to continue receiving energy transfers.
| GHG working group | GHG |  | Supports the GHG working groups. |  | Necessary to ensure multiple state GHG policies can be accommodated without adverse outcomes in EDAM.
| Resource Adequacy working group | Resource Adequacy |  | Supports the RA working groups, in particular a comprehensive approach to RA initiatives from market design to transmission development. Coordinate initiative with CPUC's RA program and WRAP to ensure interoperability.
| Align initiative timelines | Process Improvements | No | Align timelines of EDAM, DAME, PFE, TSMSP initiatives and detail how design elements of each initiative will work together in cohesive manner.

## Categories
GHG
Gas Management
Price Formation
Process Improvements
Storage
Demand Response
EDAM/WEIM
Transmission
Congestion
Resource Sufficiency
Resource Adequacy
Deliverability
Ancillary Services
Settlements
Bidding
New supply technology
Multi-stage generation