## ConsolidatedWorkSheet
2017-2018 Transmission Plan High Voltage Transmission Access Charge Capital Costs ($ millions - current dollars)
2018 forward | [11 empty] | SCE
Projects completed in 2017 deleted. | [11 empty] | PG&E
SDG&E
Note that the estimates provided below are approximate, and were provided by various project sponsors to support the TAC estimating exercise. | [11 empty] | VEA
This data should not be relied upon for any other purpose. | [11 empty] | Other/competitive solicitation
OnHold Projects
Reliability Projects - to be updated with total capital cost including AFUDC at year of capitalization (commissioning)
- For projects without CWIP-in-ratebase, total project cost in year of commissioning
- For projects with CWIP-in-ratebase, total project cost and capital expenditures in each year up to and including year of commissioning (no AFUDC)
Project Name | CWIP-in-Rate Base? | Total | Already reflected in rates ** | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029
Midway-Kern PP Nos. 1,3 and 4 230 kV Lines Capacity Increase |  | 10 |  | 2026: 10
Moraga-Castro Valley 230 kV Line Capacity Increase Project |  | 10 |  | 2021: 10
Method of Service for Wildlife 230/66 kV Substation. | No | 442.4888 |  | 2023: 355.7001; 2024: 86.7887
Southern Orange County Reliability Upgrade Project - Alternative 3 |  | 162.8148 |  | 2019: 75.2471; 2021: 42.1088; 2022: 45.4588 | Per TO5-Cycle Preliminary Forecast Plant Adds and 5 Year Capital Plan using a 55% HV allocation of total project plant additions; multi-phase project with costs in 2019, 2021, and 2022 representing three separate portions of project going into service. (Nov-19, Sep-21, Nov-22)
Orange County Static VAR Compensator (Santiago) | No | 61 | 61 | 2017: 0
Orange County Static VAR Compensator (SONGS Synchronous Condenser) |  | 109.1768 |  | 2018: 109.1768
Contra Costa Sub 230 kV Switch Replacement |  | 1 | bar: 2017 to 2029
Gregg-Herndon #2 230 kV Circuit Breaker Upgrade |  | 1 | bar: 2017 to 2029
Wheeler Ridge Voltage Support |  | 22 |  | 2020: 22
*Pittsburg 230/115 kV Transformer Capacity Increase |  | 9.15 |  | 2022: 9.15
*Morro Bay 230/115 kV Transformer Addition Project |  | 27.45 |  | 2019: 27.45
Diablo Canyon Voltage Support Project |  | 33 |  | 2019: 33
Monta Vista 230 kV Bus Upgrade |  | 32 |  | 2020: 32
Rio Oso Area 230 kV Voltage Support |  | 24 |  | 2022: 24
*Rio Oso 230/115 kV Transformer Upgrades |  | 9.6075 |  | 2021: 4.8037; 2022: 4.8037
Borden 230 kV Voltage Support |  | 23 |  | 2019: 23
Gates #2 500/230 kV Transformer Addition |  | 99.6 |  | 2019: 99.6
Lockeford-Lodi Area 230 kV Development |  | 95 |  | 2024: 95
Kearney-Herndon 230 kV Line Reconductoring |  | 13 |  | 2019: 13
Series Reactor on Warnerville-Wilson 230 kV Line |  | 12 |  | 2018: 12
*Kern PP 230 kV Area Reinforcement |  | 72 |  | 2020: 72
Lugo Substation Install new 500 kV CBs for AA Banks | No | 15 |  | 2020: 15
*North Fresno 115 kV Upgrade (Revised Scope Herndon/McCall 230 kV work) |  | 27 |  | 2019: 11; 2020: 16
*Midway-Andrew 230 kV Project |  | 130 |  | 2025: 130
Gates-Gregg 230 kV Line |  | 212 |  | 2024: 212
*Wilson 115 kV Reinforcement |  | 4 |  | 2023: 4
Additional 450 MVAR of dynamic reactive support at San Luis Rey (i.e., two 225 MVAR synchronous condensers) |  | 156.624 | 156.624 | 2017: 0
Artesian 230 kV Sub & loop-in TL23051 |  | 25.3758 |  | 2020: 25.3758
Imperial Valley Phase Shifter |  | 48.473 | 48.473 | 2017: 0
Miguel 500 kV Voltage Support |  | 57.576 | 57.576 | 2017: 0
Mesa Loop-in | Yes | 494.8339 | 83.014 | 2017: 0; 2018: 83.404; 2019: 94.7735; 2020: 96.0463; 2021: 79.7703; 2022: 16.472; 2023: 41.3537
Victor Loop-in | No | 16 | 16
CT Upgrade at Mead-Pahrump 230 kV Terminal |  | 0
*Estrella Substation Project - 230 kV |  | 55 |  | 2019: 45; 2020: 10
Glenn 230/60 kV Transformer No. 1 Replacement |  | 5.0325 |  | 2019: 5.0325
Midway-Kern PP #2 230 kV Line |  | 74 |  | 2020: 54; 2022: 20
*Wheeler Ridge Junction Station |  | 135 |  | 2024: 135
Laguna Bell Corridor Upgrade | No | 0
Martin 230 kV Bus Extension |  | 244 |  | 2022: 244
Bellota 230 kV Substation Shunt Reactor |  | 10 |  | 2019: 10
Delevan 230 kV Substation Shunt Reactor |  | 17 |  | 2020: 17
Ignacio 230 kV Reactor |  | 32 |  | 2019: 32
Los Esteros 230 kV Substation Shunt Reactor |  | 21 |  | 2019: 21
Vaca Dixon-Lakeville 230 kV Corridor Series Compensation |  | 11 |  | 2019: 11
Second Miguel – Bay Boulevard 230 kV Circuit |  | 13.645 |  | 2019: 13.645
Alberhill | Yes | 289.1817 | 51.9048 | 2017: 0; 2018: 4.6112; 2019: 38.01; 2020: 54.8205; 2021: 64.3269; 2022: 29.1848; 2023: 46.3236 | Missed in previous analysis (more of load interconnection but was approved by ISO board).
Eagle Mountain Shunt Reactors | No | 4 |  | 2018: 4
Kramer High Voltage Mitigation - Tertiary Reactors | No | 5 | 5
Big Creek Rating Increase |  | 6 |  | 2018: 6
Lugo-Victorville 500 kV Upgrade (SCE Portion) |  | 17.593 |  | 2019: 15.1034; 2020: 2.4896
Moorpark-Pardee 4th 230 kV circuit |  | 45 |  | 2020: 45
Phasor measurement units (assumed all high voltage for simplicity) |  | 11 |  | 2019: 11
Suncrest 500/230 kV T/F rating increase project |  | 1 | bar: 2017 to 2029
TOTAL ($M) | 0 | 3452.6228 | 479.5918 | 0 | 222.192 | 578.8615 | 461.7323 | 201.0098 | 393.0695 | 447.3773 | 528.7887 | 130 | 10 | 0 | 0 | 0
3452.6228
* Consists of above and below 200 kV components
Policy and economic (RTPP) to be updated with total capital cost including AFUDC at year of capitalization (commissioning)
- For projects without CWIP-in-ratebase, total project cost in year of commissioning
- For projects with CWIP-in-ratebase, total project cost and capital expenditures in each year up to and including year of commissioning (no AFUDC)
Project Name | CWIP-in-Rate Base? | Total | Already reflected in rates ** | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029
TL230xx, Sycamore – Penasquitos Line |  | 190.138 |  | 2018: 190.138 | Per TO5-Cycle 1 Preliminary Forecast Plant Adds and 5 Year Capital Plan
Warnerville-Bellota 230 kV Line Reconductoring |  | 28 |  | 2024: 28
Lugo – Eldorado series cap and terminal equipment upgrade | Yes | 232.4754 | 35.435 | 2017: 0; 2018: 20.4185; 2019: 22.7169; 2020: 106.5938; 2021: 10.0244; 2022: 37.2868
Lugo – Eldorado 500 kV Line Re-route (part of Lugo-Eldorado series cap) | Yes | 0
Suncrest 300 MVAR SVC | Assumed | 44 |  | 2019: 44
Lugo-Mohave series capacitor upgrade (part of Lugo-Eldorado series cap) | Yes | 0
Delaney-Colorado River and Loop in of existing circuit (termination) | Assumed | 380 |  | 2019: 190; 2020: 190
Delaney-Colorado River and Loop in of existing circuit (termination) | No | 0
Harry Allen-Eldorado 500 kV line-Strike through by ISO-03-9-2018 | Assumed | 205 |  | 2019: 100; 2020: 105
Harry Allen-Eldorado 500 kV line (termination) | No | 8 |  | 2020: 8
Eldorado-Mohave and Eldorado-Moenkopi 500kV Line Position Swap | No | 19 |  | 2018: 19
Lodi-Eight Mile 230 kV Line |  | 4 |  | 2018: 4
Moss Landing-Panoche 230 kV Path Upgrade |  | 5 |  | 2018: 5
IID S-Line Upgrade (less than 50 total) |  | 50 |  | 2021: 50
Bob-Mead Reconductoring |  | 25 |  | 2020: 25
|  | 0 |  | 2021: 0
TOTAL ($M) | 0 | 1190.6134 | 35.435 | 0 | 238.5565 | 356.7169 | 434.5938 | 60.0244 | 37.2868 | 0 | 28 | 0 | 0 | 0 | 0 | 0
1190.6134
Non-RTPP Driven Projects - to be updated with total capital cost including AFUDC at year of capitalization (commissioning)
- For projects without CWIP-in-ratebase, total project cost in year of commissioning
- For projects with CWIP-in-ratebase, total project cost and capital expenditures in each year up to and including year of commissioning (no AFUDC)
Project Name | CWIP-in-Rate Base? | Total | Already reflected in rates ** | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029
*Tehachapi Transmission Project | Yes | 3056.9722 | 3055.5604 | 2018: 1.4118 | In TAC model
*West of Devers Reconductoring | Yes | 1186.8579 | 390.2664 | 2018: 137.5375; 2019: 187.0966; 2020: 174.3838; 2021: 153.6599; 2022: 143.9138 | In TAC model
Colorado River Substation Expansion | Yes | 134.4833 | 71.0583 | 2021: 63.425
TOTAL ($M) |  | 4378.3134 | 3516.8851 | 0 | 138.9493 | 187.0966 | 174.3838 | 217.0849 | 143.9138 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4378.3134
Suncrest - the latest cap from NEET West was used. The expected in-service date was from the 17-18 Transmission plan.