## ConsolidatedWorkSheet18-19
2018-2019 Transmission Plan High Voltage Transmission Access Charge Capital Costs ($ millions - current dollars)
2019 | Forward | [8 empty] | SCE
Delete Projects(strike-through) if project was completed in 2018 and costs are in rate base | [9 empty] | PG&E
SDG&E
Note that the estimates provided below are approximate, and were provided by various project sponsors to support the TAC estimating exercise. | [9 empty] | VEA
This data should not be relied upon for any other purpose. | [9 empty] | Other/competitive solicitation
OnHold Projects
Reliability Projects - to be updated with total capital cost including AFUDC at year of capitalization (commissioning)
- For projects without CWIP-in-ratebase, total project cost in year of commissioning
- For projects with CWIP-in-ratebase, total project cost and capital expenditures in each year up to and including year of commissioning (no AFUDC)
Project Name | CWIP-in-Rate Base? | Total (18-19) | Already reflected in rates ** | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033
*Estrella Substation Project - 230 kV |  | 55 |  | 2021: 45; 2022: 10
Gates 500 kV Dynamic Reactive Support Project*** |  | 250 |  | 2024: 250
Phasor measurement units (assumed all high voltage for simplicity) |  | 11 |  | 2021: 11
Round Mountain 500 kV Dynamic Reactive Support Project*** |  | 190 |  | 2024: 190
*Estrella Substation Project - 230 kV (PG&E Project Component) |  | 10 |  | 2022: 10
*Glenn 230/60 kV Transformer No. 1 Replacement |  | 9 |  | 2019: 9
*Kern PP 230 kV Area Reinforcement |  | 98 |  | 2020: 98
*Midway-Andrew 230 kV Project |  | 130 |  | 2025: 130
*North Fresno 115 kV Upgrade (Revised Scope Herndon/McCall 230 kV work) |  | 24.5 |  | 2019: 10; 2020: 14.5
*Pittsburg 230/115 kV Transformer Capacity Increase |  | 9.15 |  | 2022: 9.15
*Rio Oso 230/115 kV Transformer Upgrades |  | 9.6075 |  | 2021: 4.8037; 2022: 4.8037
*Wheeler Ridge Junction Station |  | 110 |  | 2024: 110
*Wilson 115 kV Reinforcement |  | 20 |  | 2023: 20
Bellota 230 kV Substation Shunt Reactor |  | 12 |  | 2019: 12
Borden 230 kV Voltage Support |  | 23 |  | 2019: 23
Delevan 230 kV Substation Shunt Reactor |  | 17 |  | 2020: 17
Gates #2 500/230 kV Transformer Addition |  | 99.6 |  | 2019: 99.6
GoldHill 230/115 kV T/F Addition Project*** |  | 22 |  | 2022: 22
Gregg-Herndon #2 230 kV Circuit Breaker Upgrade |  | 1 | bar: 2019 to 2033
Ignacio 230 kV Reactor |  | 21.1 |  | 2019: 21.1
Kearney-Herndon 230 kV Line Reconductoring |  | 13 |  | 2019: 13
Lockeford-Lodi Area 230 kV Development |  | 98 |  | 2024: 98
Los Esteros 230 kV Substation Shunt Reactor |  | 15.4 |  | 2020: 15.4
Martin 230 kV Bus Extension |  | 244 |  | 2022: 244
Midway-Kern PP #2 230 kV Line |  | 32.5 |  | 2020: 26; 2022: 5.5; 2023: 1
Monta Vista 230 kV Bus Upgrade |  | 11.2 |  | 2020: 11.2
Moraga-Castro Valley 230 kV Line Capacity Increase Project |  | 10 |  | 2021: 10
Rio Oso Area 230 kV Voltage Support |  | 59 |  | 2022: 59
Tesla 230 kV Bus Series Reactor Project (Central Valley Area)*** |  | 29 |  | 2023: 29
Jefferson 230 kV Bus Upgrade*** |  | 11 |  | 2022: 11
Vaca Dixon-Lakeville 230 kV Corridor Series Compensation |  | 20 |  | 2019: 0; 2022: 20
Wheeler Ridge Voltage Support |  | 42 |  | 2021: 42
Alberhill | Yes | 249.6558 | 55 | 2020: 54.8205; 2021: 64.3269; 2022: 29.1848; 2023: 46.3236
Big Creek Rating Increase | No | 6 |  | 2020: 6
Lugo Substation Install new 500 kV CBs for AA Banks | No | 15 | 13 | 2020: 2
Lugo-Victorville 500 kV Upgrade (SCE Portion) | No | 16.4896 | 14 | 2020: 2.4896
Mesa Loop-in | Yes | 446 | 213 | 2020: 96; 2021: 80; 2022: 16; 2023: 41
Method of Service for Wildlife 230/66 kV Substation. | No | 442.4888 |  | 2023: 355.7001; 2024: 86.7887
Moorpark-Pardee 4th 230 kV circuit | No | 48 |  | 2020: 32; 2021: 16
Artesian 230 kV Sub & loop-in TL23051 |  | 25.3758 |  | 2020: 25.3758
Second Miguel – Bay Boulevard 230 kV Circuit |  | 13.645 |  | 2019: 13.645
Southern Orange County Reliability Upgrade Project - Alternative 3 |  | 162.5677 |  | 2020: 75; 2021: 42.1088; 2022: 45.4588
Suncrest 230 kV SVC (PTO) |  | 3 |  | 2019: 3
TOTAL ($M) |  | 3135.2802 | 295 | 204.345 | 475.7859 | 316.2394 | 486.0974 | 493.0236 | 734.7887 | 130 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Policy and economic (RTPP) to be updated with total capital cost including AFUDC at year of capitalization (commissioning)
- For projects without CWIP-in-ratebase, total project cost in year of commissioning
- For projects with CWIP-in-ratebase, total project cost and capital expenditures in each year up to and including year of commissioning (no AFUDC)
Project Name | CWIP-in-Rate Base? | Total (18-19) | Already reflected in rates ** | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033
Bob-Mead Reconductoring |  | 25 |  | 2021: 25
IID S-Line Upgrade |  | 50 |  | 2021: 50
Suncrest 300 MVAR SVC |  | 44 |  | 2019: 44
Delaney-Colorado River and Loop in of existing circuit (termination) |  | 380 |  | 2019: 190; 2020: 190
Harry Allen-Eldorado 500 kV line |  | 205 |  | 2019: 100; 2020: 105
Warnerville-Bellota 230 kV Line Reconductoring |  | 34 |  | 2023: 34; 2024: 0
Moss Landing-Panoche 230 kV Path Upgrade |  | 2.41 |  | 2019: 2.41
Lugo – Eldorado series cap and terminal equipment upgrade | Yes | 259.905 | 106 | 2020: 106.5938; 2021: 10.0244; 2022: 37.2868
Harry Allen-Eldorado 500 kV line (termination) | No | 13 |  | 2019: 2; 2020: 11
TOTAL ($M) | 0 | 1013.315 | 106 | 338.41 | 412.5938 | 85.0244 | 37.2868 | 34 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Non-RTPP Driven Projects - to be updated with total capital cost including AFUDC at year of capitalization (commissioning)
- For projects without CWIP-in-ratebase, total project cost in year of commissioning
- For projects with CWIP-in-ratebase, total project cost and capital expenditures in each year up to and including year of commissioning (no AFUDC)
Project Name | CWIP-in-Rate Base? | Total (18-19) | Already reflected in rates ** | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033
West of Devers Reconductoring | Yes | 846.9575 | 375 | 2020: 174.3838; 2021: 153.6599; 2022: 143.9138
Colorado River Substation Expansion | Yes | 138 | 75 | 2019: 6; 2020: 23; 2021: 34
Red Bluff 2nd 'AA' Bank | No | 63 |  | 2021: 63
Calcite | Yes | 64 | 7 | 2019: 10; 2020: 22; 2021: 25
TOTAL ($M) |  | 1111.9575 | 457 | 16 | 219.3838 | 275.6599 | 143.9138 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
* Consists of above and below 200 kV components
** Based on Annualy Filed PTO TRR Data on ISO Website-CAISO January 01, 2019 TAC Rates (updated as of January 7, 2019)
***Costs based on high range of the approved request window submissions.