## ConsolidatedWorkSheet19-20
2019-2020 Transmission Plan High Voltage Transmission Access Charge Capital Costs ($ millions - current dollars)
2020 | Forward | [8 empty] | SCE
Delete Projects(strike-through) if project was completed in 2019 and costs are in rate base | [9 empty] | PG&E
SDG&E
Note that the estimates provided below are approximate, and were provided by various project sponsors to support the TAC estimating exercise. | [9 empty] | VEA
This data should not be relied upon for any other purpose. | [9 empty] | Other/competitive solicitation
OnHold Projects
Reliability Projects - to be updated with total capital cost including AFUDC at year of capitalization (commissioning)
- For projects without CWIP-in-ratebase, total project cost in year of commissioning
- For projects with CWIP-in-ratebase, total project cost and capital expenditures in each year up to and including year of commissioning (no AFUDC)
Project Name | CWIP-in-Rate Base? | Total (19-20) | Already reflected in rates ** | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
*Estrella Substation Project - 230 kV |  | 55 |  | 2022: 45; 2023: 10
Gates 500 kV Dynamic Reactive Support Project*** |  | 250 |  | 2025: 250
Phasor measurement units (assumed all high voltage for simplicity) |  | 11 |  | 2022: 11
Round Mountain 500 kV Dynamic Reactive Support Project*** |  | 190 |  | 2025: 190
Gamebird 230/138 kV Transformer Upgrade*** |  | 5 |  | 2021: 5
*Estrella Substation Project - 230 kV (PG&E Project Component) |  | 10 |  | 2025: 10
*Glenn 230/60 kV Transformer No. 1 Replacement |  | 13 |  | 2021: 13
*Kern PP 230 kV Area Reinforcement |  | 85 |  | 2022: 85
*Midway-Andrew 230 kV Project |  | 130 |  | 2026: 130
*North Fresno 115 kV Upgrade (Revised Scope Herndon/McCall 230 kV work) |  | 24.5 |  | 2020: 10; 2021: 14.5
*Pittsburg 230/115 kV Transformer Capacity Increase |  | 9.15 |  | 2023: 9.15
*Rio Oso 230/115 kV Transformer Upgrades |  | 10 |  | 2023: 10
*Wheeler Ridge Junction Station |  | 140 |  | 2025: 140
*Wilson 115 kV Reinforcement |  | 23 |  | 2024: 23
Bellota 230 kV Substation Shunt Reactor |  | 0 |  | 2020: 0
Borden 230 kV Voltage Support |  | 0
Borden 230/70 kV Transformer Bank #1 Capacity Increase
Delevan 230 kV Substation Shunt Reactor |  | 17 |  | 2021: 17
East Shore 230 kV Bus Terminals Reconfiguration*** |  | 4 |  | 2024: 4
Gates #2 500/230 kV Transformer Addition |  | 68 |  | 2020: 68
GoldHill 230/115 kV T/F Addition Project*** |  | 22 |  | 2023: 22
Gregg-Herndon #2 230 kV Circuit Breaker Upgrade |  | 1 | bar: 2022
Ignacio 230 kV Reactor |  | 0 |  | 2020: 0
Kearney-Herndon 230 kV Line Reconductoring |  | 0
Lockeford-Lodi Area 230 kV Development |  | 98 |  | 2025: 98
Los Esteros 230 kV Substation Shunt Reactor |  | 17 |  | 2020: 17
Martin 230 kV Bus Extension |  | 254 |  | 2023: 254
Midway-Kern PP #2 230 kV Line |  | 31.4 |  | 2021: 27; 2023: 3.4; 2024: 1
Monta Vista 230 kV Bus Upgrade |  | 25 |  | 2022: 25
Moraga 230 kV Bus Upgrade*** |  | 17 |  | 2024: 17
Moraga-Castro Valley 230 kV Line Capacity Increase Project |  | 2 |  | 2021: 2; 2022: 0
Newark 230/115 kV Transformer Bank #7 Circuit Breaker Addition*** |  | 6 |  | 2024: 6
Rio Oso Area 230 kV Voltage Support |  | 56 |  | 2023: 56
Tesla 230 kV Bus Series Reactor Project (Central Valley Area)*** |  | 29 |  | 2024: 29
Jefferson 230 kV Bus Upgrade*** |  | 13 |  | 2023: 13
Vaca Dixon-Lakeville 230 kV Corridor Series Compensation |  | 20 |  | 2021: 20
Wheeler Ridge Voltage Support |  | 37.1 |  | 2022: 37.1
Alberhill | Yes | 272.3698 | 31.3095 | 2021: 1.2393; 2022: 8.6286; 2023: 68.9566; 2024: 85.4409; 2025: 23.743; 2026: 52.9983; 2027: 0.05358
Big Creek Rating Increase | No | 3.4485 | 3.4485
Lugo Substation Install new 500 kV CBs for AA Banks | No | 7.9634 | 5.9859 | 2021: 1.9775
Lugo-Victorville 500 kV Upgrade (SCE Portion) | No | 15.5319 | 13.1914 | 2021: 2.3405
Mesa Loop-in | Yes | 393.4268 | 274.792 | 2021: 77.1653; 2022: 6.7396; 2023: 34.7298
Method of Service for Wildlife 230/66 kV Substation. | No | 494.0092 | 0 | 2022: 73.2889; 2024: 278.9371; 2025: 141.7833
Moorpark-Pardee 4th 230 kV circuit | No | 73.2247 | 0 | 2020: 55.3987; 2021: 17.826
Pardee-Sylmar 230 kV Line Rating Increase Project*** |  | 16 |  | 2023: 16
Artesian 230 kV Sub & loop-in TL23051 |  | 25.3758 |  | 2021: 25.3758
Second Miguel – Bay Boulevard 230 kV Circuit |  | 13.645 |  | 2020: 13.645
Southern Orange County Reliability Upgrade Project - Alternative 3 |  | 162.5677 |  | 2021: 75; 2022: 42.1088; 2023: 45.4588
Suncrest 230 kV SVC (PTO) |  | 3 |  | 2020: 3
TOTAL ($M) |  | 3153.7128 | 328.7273 | 167.0437 | 299.4244 | 334.866 | 542.6953 | 444.378 | 853.5263 | 182.9983 | 0.05358 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Policy and economic (RTPP) to be updated with total capital cost including AFUDC at year of capitalization (commissioning)
- For projects without CWIP-in-ratebase, total project cost in year of commissioning
- For projects with CWIP-in-ratebase, total project cost and capital expenditures in each year up to and including year of commissioning (no AFUDC)
Project Name | CWIP-in-Rate Base? | Total (19-20) | Already reflected in rates ** | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Bob-Mead Reconductoring |  | 25 |  | 2020: 25
IID S-Line Upgrade |  | 50 |  | 2022: 50
Suncrest 300 MVAR SVC |  | 0 |  | 2020: 0
Delaney-Colorado River and Loop in of existing circuit (termination) |  | 380 |  | 2020: 190; 2021: 190
Harry Allen-Eldorado 500 kV line |  | 205 |  | 2020: 100; 2021: 105
Warnerville-Bellota 230 kV Line Reconductoring |  | 74 |  | 2024: 74
Moss Landing-Panoche 230 kV Path Upgrade |  | 2 |  | 2020: 2
Lugo – Eldorado-Mohave series cap and terminal equipment upgrade | Yes | 228.7243 | 140.6454 | 2021: 53.9102; 2022: 32.5831; 2023: 0.79335; 2024: 0.79227
Harry Allen-Eldorado 500 kV line (termination) | No | 19.3352 | 16.5727 | 2021: 2.7626
TOTAL ($M) |  | 984.0595 | 157.218 | 317 | 351.6728 | 82.5831 | 0.79335 | 74.7923 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Non-RTPP Driven Projects - to be updated with total capital cost including AFUDC at year of capitalization (commissioning)
- For projects without CWIP-in-ratebase, total project cost in year of commissioning
- For projects with CWIP-in-ratebase, total project cost and capital expenditures in each year up to and including year of commissioning (no AFUDC)
Project Name | CWIP-in-Rate Base? | Total (19-20) | Already reflected in rates ** | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
West of Devers Reconductoring | Yes | 699.5219 | 491.4947 | 2021: 89.8249; 2022: 118.2023; 2023: 0; 2024: 0
Colorado River Substation Expansion | Yes | 110.0685 | 80.5926 | 2021: 13.3512; 2022: 16.1247; 2023: 0; 2024: 0
Red Bluff 2nd 'AA' Bank | No | 33.8531 | 0 | 2021: 18.8089; 2022: 15.0443
Calcite | Yes | 62.9276 | 6.0561 | 2021: 18.0293; 2022: 20.5587; 2023: 18.2835; 2024: 0
TOTAL ($M) |  | 906.3712 | 578.1433 | 0 | 140.0144 | 169.93 | 18.2835 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
* Consists of above and below 200 kV components
** Based on Annualy Filed PTO TRR Data on ISO Website-CAISO January 01, 2020 TAC Rates (updated as of January 16, 2020)-SCE( Based on SCE's TO2020 Formula Annual Update, Effective 1/1/2020)
***Costs based on high range of the approved request window submissions.