## ConsolidatedWorkSheet25-26
2025-2026 Transmission Plan High Voltage Transmission Access Charge Capital Costs ($ millions - current dollars) |  |  | CAISO Public | [6 empty] | LSPC
2026 | Forward | [8 empty] | SCE
Delete Projects(strike-through) if project was completed in 2022 and costs are in rate base | [9 empty] | PG&E
SDG&E
Note that the estimates provided below are approximate, and were provided by various project sponsors to support the TAC estimating exercise. | [9 empty] | VEA
This data should not be relied upon for any other purpose. | [9 empty] | GLW
WAPA
Reliability Projects - to be updated with total capital cost including AFUDC at year of capitalization (commissioning) | [9 empty] | Other/competitive solicitation
- For projects without CWIP-in-ratebase, total project cost in year of commissioning | [9 empty] | OnHold Projects
- For projects with CWIP-in-ratebase, total project cost and capital expenditures in each year up to and including year of commissioning (no AFUDC)
Project Name | CWIP-in-Rate Base? | Total | Already reflected in rates ** | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
*Estrella Substation Project - 230 kV |  | 94.4 |  | 2026: 94.4
Phasor measurement units (assumed all high voltage for simplicity) |  | 11 |  | 2031: 11
Round Mountain 500 kV Dynamic Reactive Support Project*** |  | 116.53 |  | 2026: 116.53
Sloan Canyon Tertiary Reactors |  | 12.5 |  | 2028: 12.5
Metcalf 230/115 kV Transformers Circuit Breaker Addition |  | 9.3 |  | 2027: 9.3
Redwood City Area 115 kV System Reinforcement |  | 10 |  | 2031: 10
Lone Tree – Cayetano – Newark Corridor Series Compensation |  | 40 |  | 2028: 40
*Mesa 230/115kV spare transformer |  | 40 |  | 2029: 40
*Estrella Substation Project - 230 kV (PG&E Project Component) |  | 15.8 |  | 2029: 15.8; 2030: 0
Round Mountain 500 kV Dynamic Reactive Support Project (PG&E Project Component) |  | 174 |  | 2027: 174
*Glenn 230/60 kV Transformer No. 1 Replacement |  | 12.6 | 11.6 | bar: 2026
*Pittsburg 230/115 kV Transformer Capacity Increase |  | 25 |  | 2030: 25
*Rio Oso 230/115 kV Transformer Upgrades |  | 18.4 | 15.8 | 2026: 2.6
*Wilson 115 kV Reinforcement |  | 33 |  | 2031: 33
East Shore 230 kV Bus Terminals Reconfiguration*** |  | 10 |  | 2028: 10
GoldHill 230/115 kV T/F Addition Project*** |  | 38.3 |  | 2030: 38.3; 2032: 0
Lockeford-Lodi Area 230 kV Development |  | 100 |  | 2031: 100
Martin 230 kV Bus Extension |  | 284 |  | 2032: 284
Midway-Kern PP #2 230 kV Line |  | 10.6 |  | 2029: 10.6
Monta Vista 230 kV Bus Upgrade |  | 40 |  | 2028: 40
Moraga 230 kV Bus Upgrade*** |  | 26 |  | 2029: 26
Moraga-Castro Valley 230 kV Line Capacity Increase Project |  | 5.9 |  | 2026: 5.9
Newark 230/115 kV Transformer Bank #7 Circuit Breaker Addition*** |  | 2.5 |  | 2028: 2.5
Rio Oso Area 230 kV Voltage Support |  | 58.8 | 41.1 | 2027: 17.7; 2029: 0
Tesla 230 kV Bus Series Reactor Project (Central Valley Area)*** |  | 26 | 25.5 | 2026: 0.5
Jefferson 230 kV Bus Upgrade*** |  | 16 |  | 2028: 16
Vaca Dixon-Lakeville 230 kV Corridor Series Compensation |  | 22 |  | 2029: 22; 2032: 0
*Cottonwood 230/115 kV Transformers 1 and 4 Replacement Project |  | 17.7 |  | 2029: 17.7
Midway-Kern PP Nos. 1,3 and 4 230 kV Lines Capacity Increase |  | 0
Contra Costa 230 kV Line Terminals Reconfiguration |  | 41.9 | 36.97 | 2026: 4.93
*Cortina 230/115/60 kV Bank #1 Replacement (Sacramento Division) |  | 32.8 |  | 2029: 32.8
French Camp Reinforcement |  | 84.2 |  | 2030: 84.2
Greater Bay Area 500 kV Transmission Reinforcement |  | 700 |  | 2030: 116.67; 2031: 116.67; 2032: 116.67; 2033: 116.67; 2034: 116.67; 2035: 116.65
Metcalf Substation 500/230kV Transformer Bank Addition |  | 182 |  | 2032: 45.5; 2033: 45.5; 2034: 45.5; 2035: 45.5
Moraga 230/115 kV Transformer Bank Addition |  | 40 |  | 2030: 13.3; 2031: 13.3; 2032: 13.4
San Jose B – NRS 230 kV line |  | 175 |  | 2026: 43.75; 2027: 43.75; 2028: 43.75; 2029: 43.75
San Jose B – NRS 230 kV line |  | 15 |  | 2030: 15
San Mateo 230/115 kV Transformer Bank Addition Project |  | 50 |  | 2029: 50
Sobrante 230 kV Bus Upgrade |  | 20 |  | 2029: 20
Newark-NRS 230 kV line |  | 678 |  | 2028: 678
San Jose Area HVDC Line (Metcalf – San Jose) |  | 1327 |  | 2028: 1327
New Manning - Metcalf 500 kV line (LS Power Project Component) |  | 58 |  | 2034: 58
San Jose Area HVDC Line (Newark - NRS) (PG&E Project Component) |  | 15.2 |  | 2028: 15.2; 2030: 0
San Jose Area HVDC Line (Metcalf – San Jose) (PG&E Project Component) |  | 256.8 |  | 2030: 256.8
Table Mountain second 500/230 kV transformer |  | 48.8 |  | 2028: 48.8
Atlantic High Voltage Mitigation |  | 10.5 |  | 2029: 10.5
Saratoga-Vasona 230 kV line Reinforcement |  | 36 |  | 2029: 12; 2030: 12; 2031: 12
San Jose B 230/115 kV Transformer Bank Addition |  | 68.6 |  | 2029: 22.8667; 2030: 22.8667; 2031: 22.8667
Short circuit duty mitigation at Newark 230 kV |  | 116 |  | 2026: 38.6667; 2027: 38.6667; 2028: 38.6667
Short circuit duty mitigation at Metcalf 230 kV |  | 375 |  | 2029: 75; 2030: 75; 2031: 75; 2032: 75; 2033: 75
Tesla – Trimble – Metcalf 230 kV Corridor Expansion Project |  | 1318 |  | 2028: 263.6; 2029: 263.6; 2030: 263.6; 2031: 263.6; 2032: 263.6
Monta Vista 230/115 kV Transformer Bank Addition |  | 100 |  | 2028: 25; 2029: 25; 2030: 25; 2031: 25
Newark 230/115 kV Bank Upgrade |  | 62.658 |  | 2029: 20.886; 2030: 20.886; 2031: 20.886
South Bay Reinforcement Project (Re-scope) |  | 434 |  | 2027: 86.8; 2028: 86.8; 2029: 86.8; 2030: 86.8; 2031: 86.8
Barre 230 kV Switchrack Conversion to BAAH Project | No | 45.7085 |  | 2027: 45.7085
Inyo 230 kV Shunt Reactor |  | 4.4932 | 4.4932
Etiwanda 230 kV Bus SCD Mitigation |  | 16.5873 |  | 2030: 16.5873
Eldorado 230 kV Short Circuit Duty Mitigation |  | 46.6526 |  | 2029: 46.6526
Alberhill | Yes | 266.975 | 69.4985 | 2027: 75.5376; 2028: 57.7694; 2029: 9.7664; 2030: 54.4031
Lugo Substation Install new 500 kV CBs for AA Banks | No | 12.9012 |  | 2032: 12.9012
Lugo - Victorville 500kV Transmission Line Upgrades-SCE portion | No | 13.7559 |  | 2027: 13.7559
Method of Service for Wildlife 230/66 kV Substation | Yes | 725.8373 | 293.2067 | 2027: 99.1099; 2028: 56.9065; 2029: 24.2954; 2030: 252.3187
Pardee-Sylmar 230 kV Line Rating Increase Project*** | No | 25.5097 | 15.0572 | 2029: 10.4525
Devers 230 kV Reconfiguration Project | No | 13.1652 | 7.9668 | 2027: 5.1984
Victor 230 kV Switchrack Reconfiguration | No | 10.9651 |  | 2027: 10.9651
Mira Loma 500 kV Circuit Breaker Upgrade | No | 11.0332 |  | 2028: 11.0332
Serrano 4AA 500/230 kV Transformer Bank Addition | No | 234.3409 |  | 2033: 234.3409
Sylmar Transformer Replace | No | 19.0557 |  | 2028: 19.0557
Coolwater 1A 230/115kV Bank Project | No | 51.9422 |  | 2028: 51.9422
Julian Hinds-Mirage 230kV Advanced Reconductor Project |  | 76 |  | 2029: 25.33; 2030: 25.33; 2031: 25.34
Alamitos 230 kV SCD Upgrade |  | 5 |  | 2033: 5
Serrano 230 kV SCD GIS Bus Split Project |  | 30.9405 |  | 2033: 30.9405
Serrano 500 kV SCD Mitigation Project |  | 75.1406 |  | 2033: 75.1406
Lugo 230 kV CB Upgrade |  | 5 |  | 2031: 5
Walnut 230 kV CB Upgrade |  | 15 |  | 2030: 7.5; 2031: 7.5
Devers 230 kV SCD Upgrade |  | 186 |  | 2032: 46.5; 2033: 46.5; 2034: 46.5; 2035: 46.5
Lugo 500 kV Reactive Power Support |  | 450 |  | 2028: 90; 2029: 90; 2030: 90; 2031: 90; 2032: 90
Mesa - Laguna Bell 230 kV line #2 Upgrade |  | 56 |  | 2030: 18.6667; 2031: 18.6667; 2032: 18.6667
Etiwanda and Mira Loma 230 kV SCD Upgrade |  | 55 |  | 2029: 18.3333; 2030: 18.3333; 2031: 18.3333
Miguel-Sycamore Canyon 230 kV line Loop-in to Suncrest Project |  | 435.8 | 5.1 | 2026: 13.5; 2027: 54.7; 2028: 139.7; 2029: 68.1; 2030: 88.3; 2031: 35.8; 2032: 30.6
Southern Orange County Reliability Upgrade Project - Alternative 3 |  | 350.3914 | 347.5878 | 2026: 2.8036
Downtown Reliability Reinforcement |  | 635.88 | 0 | 0.31 | 0.72 | 2 | 2.2 | 2.36 | 2.54 | 112.16 | 120.14 | 128.76 | 60.67 | 66.31 | 70.71 | 67
Short Circuit Mitigation for Miguel 230 kV Circuit Breakers |  | 78.29 | 0.08 | 2026: 0.71; 2027: 24.35; 2028: 25.33; 2029: 27.35; 2030: 0.47
Short Circuit Mitigation for Imperial Valley 230 kV Circuit Breakers (Re-scope) |  | 33 |  | 2033: 11; 2034: 11; 2035: 11
*Wheeler Ridge Junction Station |  | 420.8 |  | 2034: 420.8
TOTAL ($M) |  | 11922.9535 | 873.9602 | 325.6003 | 700.262 | 3101.5537 | 1117.783 | 1629.6918 | 993.3027 | 1108.9979 | 760.2319 | 827.23 | 280.32 | 66.31 | 70.71 | 67 | 0 | 0
Policy and economic (RTPP) to be updated with total capital cost including AFUDC at year of capitalization (commissioning)
- For projects without CWIP-in-ratebase, total project cost in year of commissioning
- For projects with CWIP-in-ratebase, total project cost and capital expenditures in each year up to and including year of commissioning (no AFUDC)
Project Name | CWIP-in-Rate Base? | Total | Already reflected in rates ** | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
(CB replacements at Pittsburg, Moraga, Los Banos and Panoche) |  | 0
*Henrietta 230/115 kV Bank 3 replacement |  | 16 |  | 2028: 16
Borden-Story #1&2 230 kV lines reconductor |  | 33 |  | 2029: 33
Warnerville-Bellota 230 kV Line Reconductoring |  | 99.1 |  | 2026: 99.1
Moss Landing-Panoche 230 kV Path Upgrade |  | 2 | 2
Reconductor Delevan-Cortina 230kV line |  | 38.7 |  | 2028: 38.7
East Shore 230 kV Area Reinforcement |  | 254 |  | 2027: 63.5; 2028: 63.5; 2029: 63.5; 2030: 63.5
New Collinsville 500 kV substation |  | 364.7 |  | 2028: 364.7
New Manning 500 kV substation |  | 260.4 |  | 2028: 260.4
GLW/VEA area upgrades (DesertLink portion) |  | 35.7 |  | 2028: 35.7
SWIP-North |  | 1099 |  | 2029: 1099
New Collinsville 500 kV substation (PG&E Project Component) |  | 115.9 |  | 2029: 115.9
New Manning 500 kV substation (PG&E Project Component) |  | 247 |  | 2029: 247
Installing 10 ohms series reactors on the PG&E’s Moss Landing – Las Aguilas 230 kV line |  | 21 |  | 2029: 21
Sobrante 230/115 kV Transformer Bank Addition |  | 50 |  | 2034: 50
New Humboldt 500 kV Substation with 500 kV line to Collinsville [HVDC operated as AC] |  | 46.5 |  | 2034: 46.5
New Humboldt to Fern Road 500 kV Line |  | 77.5 |  | 2034: 77.5
New Humboldt 500 kV Substation with 500 kV line to Collinsville [HVDC operated as AC] |  | 1346 |  | 2031: 336.5; 2032: 336.5; 2033: 336.5; 2034: 336.5
New Humboldt to Fern Road 500 kV Line |  | 791 |  | 2031: 197.75; 2032: 197.75; 2033: 197.75; 2034: 197.75
North Dublin -Vineyard 230 kV Reconductoring |  | 386 |  | 2032: 233; 2035: 153
Tesla - Newark 230 kV Line No. 2 Reconductoring |  | 116 |  | 2032: 58; 2035: 58
New Helm 230/70 kV Bank #2 |  | 115 |  | 2029: 28.75; 2030: 28.75; 2031: 28.75; 2032: 28.75
Collinsville 230 kV Reactor |  | 45 |  | 2028: 45
Beatty 230 kV |  | 198 |  | 2026: 11; 2027: 32; 2028: 155
Lugo–Victor–Kramer 230 kV Upgrade | No | 518.5255 | 52.9975 | 2027: 71.2295; 2028: 77.83; 2029: 3.0543; 2030: 15.4716; 2031: 53.5292; 2032: 100.5192; 2033: 97.2277; 2034: 46.6665
Colorado River-Red Bluff 500 kV 1 Line Upgrade | No | 26.5282 |  | 2027: 26.5282
Devers-Red Bluff 500 kV 1 and 2 Line Upgrade | No | 80.5249 |  | 2030: 80.5249
Devers-Valley 500 kV 1 Line Upgrade | No | 49.7437 |  | 2028: 49.7437
Serrano-Alberhill-Valley 500 kV 1 Line Upgrade | No | 72.512 |  | 2031: 72.512
San Bernardino-Etiwanda 230 kV 1 Line Upgrade | No | 104.5268 |  | 2031: 104.5268
San Bernardino-Vista 230 kV 1 Line Upgrade | No | 40.5349 |  | 2029: 40.5349
Vista-Etiwanda 230 kV 1 Line Upgrade | No | 72.9124 |  | 2027: 72.9124
Mira Loma-Mesa 500 kV Underground Third Cable | No | 77.4225 | 0.033879 | 2027: 77.3887
Trout Canton - Lugo 500 kV Line |  | 1685 |  | 2030: 337; 2031: 337; 2032: 337; 2033: 337; 2034: 337
Gates - Los Banos #3 500 kV line Series Compensation |  | 150 |  | 2032: 37.5; 2033: 37.5; 2034: 37.5; 2035: 37.5
Imperial Valley–North of SONGS 500 kV Line and Substation |  | 1004 |  | 2028: 200.8; 2029: 200.8; 2030: 200.8; 2031: 200.8; 2032: 200.8
North of SONGS–Serrano 500 kV line | No | 503 |  | 2028: 83; 2029: 84; 2030: 84; 2031: 84; 2032: 84; 2033: 84
North of SONGS–Serrano 500 kV line | No | 503 |  | 2027: 83; 2028: 84; 2029: 84; 2030: 84; 2031: 84; 2032: 84
Serrano–Del Amo–Mesa 500 kV Transmission Reinforcement | No | 1209.39 | 4.96 | 2027: 4.3; 2028: 16.72; 2029: 57.78; 2030: 117.07; 2031: 297.82; 2032: 364.21; 2033: 185.6; 2034: 160.93
North Gila–Imperial Valley 500 kV line |  | 256 |  | 2030: 256
Upgrade series capacitors on HW-NG and HA-NG to 2739 MVA |  | 7 |  | 2032: 1; 2033: 2; 2034: 2; 2035: 2
Rearrange TL23013 PQ-OT and TL6959 PQ-Mira Sorrento |  | 19.3036 |  | 2032: 19.3036
3 ohm series reactor on Sycamore-Penasquitos 230 kV line |  | 19.99 |  | 2027: 19.99
Lugo – Eldorado-Mohave series cap and terminal equipment upgrade | Yes | 598.75 | 299.375 | 2027: 299.375
GLW/VEA area upgrades |  | 656 |  | 2026: 225; 2027: 297; 2028: 134
TOTAL ($M) |  | 13412.1645 | 359.3664 | 335.1 | 1047.2237 | 1625.0937 | 2078.3192 | 1267.1165 | 1797.1879 | 2082.3328 | 1277.5777 | 1292.3465 | 250.5 | 0 | 0 | 0 | 0 | 0
Non-RTPP Driven Projects - to be updated with total capital cost including AFUDC at year of capitalization (commissioning)
- For projects without CWIP-in-ratebase, total project cost in year of commissioning
- For projects with CWIP-in-ratebase, total project cost and capital expenditures in each year up to and including year of commissioning (no AFUDC)
Project Name | CWIP-in-Rate Base? | Total | Already reflected in rates ** | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
Red Bluff 2nd 'AA' Bank | No | 24.44 | 24.44
Calcite | Yes | 104.1007 | 39.0978 | 2027: 33.4637; 2028: 4.2332; 2029: 27.306
TOTAL ($M) |  | 128.5407 | 63.5378 | 0 | 33.4637 | 4.2332 | 27.306 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL FOR ALL CATEGORIES ($M) |  | 25463.6586 | 1296.8644 | 660.7003 | 1780.9494 | 4730.8806 | 3223.4081 | 2896.8083 | 2790.4906 | 3191.3308 | 2037.8096 | 2119.5765 | 530.82 | 66.31 | 70.71 | 67 | 0 | 0
* Consists of above and below 200 kV components
** Based on Annualy Filed PTO TRR Data on ISO Website-CAISO January 01, 2020 TAC Rates (updated as of January 16, 2020)-SCE( Based on SCE's TO2021 Formula Annual Update, Effective 1/1/2021)
***Costs based on high range of the approved request window submissions.