## Read Me
*CAISO Public*
2025 Summer Loads and Resources Assessment Report
2025 Summer Loads and Resources Assessment - Technical Appendix
Description | An hourly loads and resource contribution analysis was performed to analyze the hourly reserve margin for the expected “All RA eligible” fleet. The multi-hour stack assessment of this fleet indicates a reasonable margin above the planning reserve margin (PRM) required to achieve a 0.1 LOLE target. The multi-hour approach for all RA eligible resource portfolio focuses on a reasonable expectation of resource availability during every hour of the peak day in each of the summer months. For most resource types, the NQC value provides a reasonable estimation of the contribution/availability of those resources every hour.
Data Sources
Existing and New resources | - Existing resources are based on CAISO 2025 NQC list published in February 2025. - Expected new resources are resources not on the NQC list, but are expected to be online by June 30, 2025. The NQC MW of an expected resource (excluding wind, solar, and battery) is based upon technology factors in the 2025 NQC list. - Existing and new resources contracted under the Strategic Reliability Reserve (SRR) program are excluded from this stack analysis.
Demand | The load profiles used in this analysis are based on the CEC’s 2024 IEPR 1-in-2 planning forecast for CAISO for the peak day in each summer month of 2025.
Energy storage | Battery storage resources are assumed to be capable of one 4-hour cycle per day, but also are capable of spreading out their discharge energy across more than four hours if necessary. The base scenario optimizes battery discharge to maintain the maximum possible surplus over the net peak hours HE17-23. The batteries are tuned upward during this time range until 90 percent of the 4 hour storage depth is reached.
Nuclear | Nuclear capacity within the CAISO footprint is included in the model, and capacity outside the CAISO footprint (Palo Verde dynamic import) is included as imports.
Wind and Solar | Wind and solar profiles are derived based on nine (9) years of historical generation data (2016 – 2024) for the five (5) highest load days using exceedance methodology. Solar profiles are calculated using a 70 percent exceedance level. Wind profiles are calculated using an 80 percent exceedance level for summer, and 65% exceedance level for non-summer months.
Demand Response | Demand response capacity for PG&E, SCE, and SDG&E is sourced from the utility provided projections to the CPUC. Demand response for third party providers are sourced from the 2025 NQC list. The assumption regarding the inclusion of non-CPUC jurisdictional demand response (DR) was overlooked during the development of the stack model. However, the probabilistic assessment now incorporates this DR program, as detailed in the technical appendix.
Resource Adequacy Imports | Import capacity is allowed up to the Maximum Import Capability (MIC) value of 11,665 MW except during the evening net peak hours (HE17-23) where it is limited to 5,500 MW.
Other Renewables | Includes existing and expected resources from Biogas, Biomass, and Geothermal fuel categories
Other | Includes non-demand response resources clasified as "Other" such as qualified facilities, Waste to Power, Distillate, and Hybrid fuel types
Planning Reserve Margin | The PRM required to meet a 0.1 LOLE is calculated in two steps: 1) The model constructs the resource stack and optimizes battery dispatch to maximize surplus during the evening peak hours in September (17 – 23), achieving an hourly surplus of 11,900 MW. This results in an 'achieved PRM' of 25.82 percent based on the current portfolio. 2) The model then integrates results from the probabilistic study, which identifies 1,451 MW of surplus that can be removed to achieve a 0.1 LOLE target. After evenly distributing this reduction across all hours, the surplus during September peak hours (17 – 23) decreases to 10,449 MW. The model subsequently recalculates the PRM, resulting in a requirement of 22.67 percent to meet the reliability target.
16.7 percent Load-weighted PRM of LSE monthly RA obligations: | The majority of LSE’s are under CPUC jurisdiction and are required to meet a 17 percent PRM for their RA obligation; the remaining LSE’s have a mix of PRMs depending on their Local Regulatory Authority (LRA).

## Monthly Charts
MONTH | DAY | HOUR (PDT) | 2024 IEPR Forecast | Forecast + 16.7% PRM | Forecast + 22.67% PRM | Charging Load | Natural Gas | Nuclear | Hydro | Other | Other Renewables | Solar | Wind | Imports | Battery Storage | Demand Response
5 | 28 | 1 | 25460 | 29711.82 | 31231.782 | 0 | 26236 | 2280 | 6814 | 1183 | 1747.5128 | 0 | 2573.8774 | 11665 | 0 | 0
5 | 28 | 2 | 23856 | 27839.952 | 29264.1552 | 0 | 26236 | 2280 | 6814 | 1183 | 1747.5128 | 0 | 2389.5418 | 11665 | 0 | 0
5 | 28 | 3 | 22851 | 26667.117 | 28031.3217 | 0 | 26236 | 2280 | 6814 | 1183 | 1747.5128 | 0 | 2224.2299 | 11665 | 0 | 0
5 | 28 | 4 | 22267 | 25985.589 | 27314.9289 | 0 | 26236 | 2280 | 6814 | 1183 | 1747.5128 | 0 | 1985.5546 | 11665 | 0 | 0
5 | 28 | 5 | 22285 | 26006.595 | 27337.0095 | 0 | 26236 | 2280 | 6814 | 1183 | 1747.5128 | 0 | 1705.5695 | 11665 | 0 | 0
5 | 28 | 6 | 22954 | 26787.318 | 28157.6718 | 0 | 26236 | 2280 | 6814 | 1183 | 1747.5128 | 0 | 1415.7156 | 11665 | 0 | 0
5 | 28 | 7 | 23606 | 27548.202 | 28957.4802 | 0 | 26236 | 2280 | 6814 | 1183 | 1747.5128 | 1785.3138 | 1173.7749 | 11665 | 0 | 0
5 | 28 | 8 | 24081 | 28102.527 | 29540.1627 | 0 | 26236 | 2280 | 6814 | 1183 | 1747.5128 | 7617.3163 | 762.4265 | 11665 | 0 | 0
5 | 28 | 9 | 23779 | 27750.093 | 29169.6993 | 6236.244 | 26236 | 2280 | 6814 | 1183 | 1747.5128 | 11598.9307 | 535.6947 | 11665 | 0 | 0
5 | 28 | 10 | 22933 | 26762.811 | 28131.9111 | 6236.244 | 26236 | 2280 | 6814 | 1183 | 1747.5128 | 13218.9361 | 479.037 | 11665 | 0 | 0
5 | 28 | 11 | 21917 | 25577.139 | 26885.5839 | 6236.244 | 26236 | 2280 | 6814 | 1183 | 1747.5128 | 13811.9694 | 450.9161 | 11665 | 0 | 0
5 | 28 | 12 | 21262 | 24812.754 | 26082.0954 | 6236.244 | 26236 | 2280 | 6814 | 1183 | 1747.5128 | 14064.6146 | 417.414 | 11665 | 0 | 0
5 | 28 | 13 | 21241 | 24788.247 | 26056.3347 | 6236.244 | 26236 | 2280 | 6814 | 1183 | 1747.5128 | 14271.0183 | 384.2212 | 11665 | 0 | 0
5 | 28 | 14 | 21867 | 25518.789 | 26824.2489 | 6236.244 | 26236 | 2280 | 6814 | 1183 | 1747.5128 | 13929.4915 | 506.1927 | 11665 | 0 | 0
5 | 28 | 15 | 22924 | 26752.308 | 28120.8708 | 6236.244 | 26236 | 2280 | 6814 | 1183 | 1747.5128 | 13829.7485 | 559.8881 | 11665 | 0 | 0
5 | 28 | 16 | 24577 | 28681.359 | 30148.6059 | 6236.244 | 26236 | 2280 | 6814 | 1183 | 1747.5128 | 13156.4844 | 836.7911 | 11665 | 0 | 0
5 | 28 | 17 | 26456 | 30874.152 | 32453.5752 | 0 | 26236 | 2280 | 6814 | 1183 | 1747.5128 | 11569.8114 | 1445.7861 | 5500 | 0 | 270.55
5 | 28 | 18 | 28674 | 33462.558 | 35174.3958 | 0 | 26236 | 2280 | 6814 | 1183 | 1747.5128 | 9310.23 | 1873.3319 | 5500 | 0 | 1163.9928
5 | 28 | 19 | 30391 | 35466.297 | 37280.6397 | 0 | 26236 | 2280 | 6814 | 1183 | 1747.5128 | 4454.0546 | 2041.508 | 5500 | 5537.5363 | 1146.3882
5 | 28 | 20 | 30943 | 36110.481 | 37957.7781 | 0 | 26236 | 2280 | 6814 | 1183 | 1747.5128 | 456.9584 | 1980.5365 | 5500 | 10211.5142 | 1082.478
5 | 28 | 21 | 31026 | 36207.342 | 38059.5942 | 0 | 26236 | 2280 | 6814 | 1183 | 1747.5128 | 0 | 2284.7625 | 5500 | 10478.8123 | 1044.1952
5 | 28 | 22 | 30084 | 35108.028 | 36904.0428 | 0 | 26236 | 2280 | 6814 | 1183 | 1747.5128 | 0 | 2529.0306 | 5500 | 9303.4621 | 1033.328
5 | 28 | 23 | 28132 | 32830.044 | 34509.5244 | 0 | 26236 | 2280 | 6814 | 1183 | 1747.5128 | 0 | 2512.3848 | 5500 | 8402.4342 | 0
5 | 28 | 24 | 26478 | 30899.826 | 32480.5626 | 0 | 26236 | 2280 | 6814 | 1183 | 1747.5128 | 0 | 2462.3873 | 11665 | 0 | 0
6 | 25 | 1 | 30164 | 35201.388 | 37002.1788 | 0 | 26186 | 2280 | 7103 | 1741 | 1757.6416 | 0 | 1865.9756 | 11665 | 0 | 0
6 | 25 | 2 | 27268 | 31821.756 | 33449.6556 | 0 | 26186 | 2280 | 7103 | 1741 | 1757.6416 | 0 | 1491.7733 | 11665 | 0 | 0
6 | 25 | 3 | 25791 | 30098.097 | 31637.8197 | 0 | 26186 | 2280 | 7103 | 1741 | 1757.6416 | 0 | 1220.6049 | 11665 | 0 | 0
6 | 25 | 4 | 24967 | 29136.489 | 30627.0189 | 0 | 26186 | 2280 | 7103 | 1741 | 1757.6416 | 0 | 1129.6678 | 11665 | 0 | 0
6 | 25 | 5 | 24862 | 29013.954 | 30498.2154 | 0 | 26186 | 2280 | 7103 | 1741 | 1757.6416 | 0 | 865.1025 | 11665 | 0 | 0
6 | 25 | 6 | 25397 | 29638.299 | 31154.4999 | 0 | 26186 | 2280 | 7103 | 1741 | 1757.6416 | 0 | 653.1938 | 11665 | 0 | 0
6 | 25 | 7 | 26090 | 30447.03 | 32004.603 | 0 | 26186 | 2280 | 7103 | 1741 | 1757.6416 | 2350.7633 | 598.2768 | 11665 | 0 | 0
6 | 25 | 8 | 27323 | 31885.941 | 33517.1241 | 0 | 26186 | 2280 | 7103 | 1741 | 1757.6416 | 7823.7234 | 458.1752 | 11665 | 0 | 0
6 | 25 | 9 | 27970 | 32640.99 | 34310.799 | 6236.244 | 26186 | 2280 | 7103 | 1741 | 1757.6416 | 11153.9009 | 344.4232 | 11665 | 0 | 0
6 | 25 | 10 | 27881 | 32537.127 | 34201.6227 | 6236.244 | 26186 | 2280 | 7103 | 1741 | 1757.6416 | 13002.7831 | 268.8595 | 11665 | 0 | 0
6 | 25 | 11 | 28025 | 32705.175 | 34378.2675 | 6236.244 | 26186 | 2280 | 7103 | 1741 | 1757.6416 | 13747.4229 | 354.0244 | 11665 | 0 | 0
6 | 25 | 12 | 28695 | 33487.065 | 35200.1565 | 6236.244 | 26186 | 2280 | 7103 | 1741 | 1757.6416 | 14008.4257 | 286.9359 | 11665 | 0 | 0
6 | 25 | 13 | 30015 | 35027.505 | 36819.4005 | 6236.244 | 26186 | 2280 | 7103 | 1741 | 1757.6416 | 14061.1071 | 303.0417 | 11665 | 0 | 0
6 | 25 | 14 | 32194 | 37570.398 | 39492.3798 | 6236.244 | 26186 | 2280 | 7103 | 1741 | 1757.6416 | 13651.3892 | 384.2023 | 11665 | 0 | 0
6 | 25 | 15 | 34702 | 40497.234 | 42568.9434 | 6236.244 | 26186 | 2280 | 7103 | 1741 | 1757.6416 | 13376.1375 | 556.1491 | 11665 | 0 | 0
6 | 25 | 16 | 37487 | 43747.329 | 45985.3029 | 6236.244 | 26186 | 2280 | 7103 | 1741 | 1757.6416 | 12737.8159 | 868.2605 | 11665 | 0 | 0
6 | 25 | 17 | 38803 | 45283.101 | 47599.6401 | 0 | 26186 | 2280 | 7103 | 1741 | 1757.6416 | 11410.8142 | 1212.3436 | 5500 | 0 | 1412.9438
6 | 25 | 18 | 40383 | 47126.961 | 49537.8261 | 0 | 26186 | 2280 | 7103 | 1741 | 1757.6416 | 9580.3747 | 1631.4733 | 5500 | 2024.2168 | 1356.2936
6 | 25 | 19 | 41047 | 47901.849 | 50352.3549 | 0 | 26186 | 2280 | 7103 | 1741 | 1757.6416 | 5652.2275 | 1806.0602 | 5500 | 6514.9177 | 1283.153
6 | 25 | 20 | 40264 | 46988.088 | 49391.8488 | 0 | 26186 | 2280 | 7103 | 1741 | 1757.6416 | 1274.0083 | 2112.9673 | 5500 | 9857.4218 | 1228.961
6 | 25 | 21 | 39184 | 45727.728 | 48067.0128 | 0 | 26186 | 2280 | 7103 | 1741 | 1757.6416 | 0 | 2303.6094 | 5500 | 9981.299 | 1091.9361
6 | 25 | 22 | 37622 | 43904.874 | 46150.9074 | 0 | 26186 | 2280 | 7103 | 1741 | 1757.6416 | 0 | 2454.2586 | 5500 | 9051.5076 | 320.55
6 | 25 | 23 | 34804 | 40616.268 | 42694.0668 | 0 | 26186 | 2280 | 7103 | 1741 | 1757.6416 | 0 | 2507.7173 | 5500 | 6502.4263 | 0
6 | 25 | 24 | 32034 | 37383.678 | 39296.1078 | 0 | 26186 | 2280 | 7103 | 1741 | 1757.6416 | 0 | 2422.4639 | 11665 | 0 | 0
7 | 23 | 1 | 32177 | 37550.559 | 39471.5259 | 0 | 26175 | 2280 | 7310 | 2012 | 1759.5577 | 0 | 2143.903 | 11665 | 0 | 0
7 | 23 | 2 | 29355 | 34257.285 | 36009.7785 | 0 | 26175 | 2280 | 7310 | 2012 | 1759.5577 | 0 | 2148.0084 | 11665 | 0 | 0
7 | 23 | 3 | 27795 | 32436.765 | 34096.1265 | 0 | 26175 | 2280 | 7310 | 2012 | 1759.5577 | 0 | 1994.9086 | 11665 | 0 | 0
7 | 23 | 4 | 26868 | 31354.956 | 32958.9756 | 0 | 26175 | 2280 | 7310 | 2012 | 1759.5577 | 0 | 1943.4206 | 11665 | 0 | 0
7 | 23 | 5 | 26670 | 31123.89 | 32716.089 | 0 | 26175 | 2280 | 7310 | 2012 | 1759.5577 | 0 | 1651.956 | 11665 | 0 | 0
7 | 23 | 6 | 27360 | 31929.12 | 33562.512 | 0 | 26175 | 2280 | 7310 | 2012 | 1759.5577 | 0 | 1369.6372 | 11665 | 0 | 0
7 | 23 | 7 | 28292 | 33016.764 | 34705.7964 | 0 | 26175 | 2280 | 7310 | 2012 | 1759.5577 | 1155.0269 | 1098.7293 | 11665 | 0 | 0
7 | 23 | 8 | 29753 | 34721.751 | 36498.0051 | 6297.053 | 26175 | 2280 | 7310 | 2012 | 1759.5577 | 5922.1184 | 844.3102 | 11665 | 0 | 0
7 | 23 | 9 | 30610 | 35721.87 | 37549.287 | 6297.053 | 26175 | 2280 | 7310 | 2012 | 1759.5577 | 10301.0144 | 503.7894 | 11665 | 0 | 0
7 | 23 | 10 | 31146 | 36347.382 | 38206.7982 | 6297.053 | 26175 | 2280 | 7310 | 2012 | 1759.5577 | 12155.548 | 351.6875 | 11665 | 0 | 0
7 | 23 | 11 | 31692 | 36984.564 | 38876.5764 | 6297.053 | 26175 | 2280 | 7310 | 2012 | 1759.5577 | 13005.135 | 302.1322 | 11665 | 0 | 0
7 | 23 | 12 | 33182 | 38723.394 | 40704.3594 | 6297.053 | 26175 | 2280 | 7310 | 2012 | 1759.5577 | 13272.8602 | 265.8531 | 11665 | 0 | 0
7 | 23 | 13 | 34838 | 40655.946 | 42735.7746 | 6297.053 | 26175 | 2280 | 7310 | 2012 | 1759.5577 | 13285.7363 | 370.585 | 11665 | 0 | 0
7 | 23 | 14 | 37539 | 43808.013 | 46049.0913 | 6297.053 | 26175 | 2280 | 7310 | 2012 | 1759.5577 | 13097.7382 | 457.8847 | 11665 | 0 | 0
7 | 23 | 15 | 40464 | 47221.488 | 49637.1888 | 6297.053 | 26175 | 2280 | 7310 | 2012 | 1759.5577 | 12761.6562 | 667.3359 | 11665 | 0 | 0
7 | 23 | 16 | 43190 | 50402.73 | 52981.173 | 0 | 26175 | 2280 | 7310 | 2012 | 1759.5577 | 12178.7453 | 1156.4596 | 11665 | 0 | 0
7 | 23 | 17 | 44559 | 52000.353 | 54660.5253 | 0 | 26175 | 2280 | 7310 | 2012 | 1759.5577 | 11034.0058 | 1622.7572 | 5500 | 1081.6844 | 1433.9949
7 | 23 | 18 | 45568 | 53177.856 | 55898.2656 | 0 | 26175 | 2280 | 7310 | 2012 | 1759.5577 | 8942 | 1986.0536 | 5500 | 3894.3847 | 1359.004
7 | 23 | 19 | 45434 | 53021.478 | 55733.8878 | 0 | 26175 | 2280 | 7310 | 2012 | 1759.5577 | 5077.066 | 2032.2788 | 5500 | 7666.7475 | 1271.35
7 | 23 | 20 | 43726 | 51028.242 | 53638.6842 | 0 | 26175 | 2280 | 7310 | 2012 | 1759.5577 | 941.6488 | 2275.7938 | 5500 | 9915.6684 | 1206.3314
7 | 23 | 21 | 41826 | 48810.942 | 51307.9542 | 0 | 26175 | 2280 | 7310 | 2012 | 1759.5577 | 0 | 2527.5874 | 5500 | 8857.7222 | 1046.0111
7 | 23 | 22 | 40143 | 46846.881 | 49243.4181 | 0 | 26175 | 2280 | 7310 | 2012 | 1759.5577 | 0 | 2627.8692 | 5500 | 7798.3163 | 325.57
7 | 23 | 23 | 37058 | 43246.686 | 45459.0486 | 0 | 26175 | 2280 | 7310 | 2012 | 1759.5577 | 0 | 2542.8469 | 5500 | 5122.7919 | 0
7 | 23 | 24 | 34187 | 39896.229 | 41937.1929 | 0 | 26175 | 2280 | 7310 | 2012 | 1759.5577 | 0 | 2446.2247 | 11665 | 0 | 0
8 | 13 | 1 | 31854 | 37173.618 | 39075.3018 | 0 | 26176 | 2280 | 7377 | 1437 | 1750.5488 | 0 | 1745.4914 | 11665 | 0 | 0
8 | 13 | 2 | 29219 | 34098.573 | 35842.9473 | 0 | 26176 | 2280 | 7377 | 1437 | 1750.5488 | 0 | 1704.7642 | 11665 | 0 | 0
8 | 13 | 3 | 27684 | 32307.228 | 33959.9628 | 0 | 26176 | 2280 | 7377 | 1437 | 1750.5488 | 0 | 1455.0927 | 11665 | 0 | 0
8 | 13 | 4 | 26703 | 31162.401 | 32756.5701 | 0 | 26176 | 2280 | 7377 | 1437 | 1750.5488 | 0 | 1262.5179 | 11665 | 0 | 0
8 | 13 | 5 | 26572 | 31009.524 | 32595.8724 | 0 | 26176 | 2280 | 7377 | 1437 | 1750.5488 | 0 | 1071.0925 | 11665 | 0 | 0
8 | 13 | 6 | 27405 | 31981.635 | 33617.7135 | 0 | 26176 | 2280 | 7377 | 1437 | 1750.5488 | 0 | 971.7087 | 11665 | 0 | 0
8 | 13 | 7 | 28639 | 33421.713 | 35131.4613 | 0 | 26176 | 2280 | 7377 | 1437 | 1750.5488 | 383.8979 | 742.0416 | 11665 | 0 | 0
8 | 13 | 8 | 29613 | 34558.371 | 36326.2671 | 6332.823 | 26176 | 2280 | 7377 | 1437 | 1750.5488 | 4157.3117 | 547.534 | 11665 | 0 | 0
8 | 13 | 9 | 30171 | 35209.557 | 37010.7657 | 6332.823 | 26176 | 2280 | 7377 | 1437 | 1750.5488 | 8821.2589 | 349.8306 | 11665 | 0 | 0
8 | 13 | 10 | 30500 | 35593.5 | 37414.35 | 6332.823 | 26176 | 2280 | 7377 | 1437 | 1750.5488 | 11288.2626 | 329.5364 | 11665 | 0 | 0
8 | 13 | 11 | 31093 | 36285.531 | 38141.7831 | 6332.823 | 26176 | 2280 | 7377 | 1437 | 1750.5488 | 12502.2895 | 250.2147 | 11665 | 0 | 0
8 | 13 | 12 | 32500 | 37927.5 | 39867.75 | 6332.823 | 26176 | 2280 | 7377 | 1437 | 1750.5488 | 13031.2933 | 199.4972 | 11665 | 0 | 0
8 | 13 | 13 | 34343 | 40078.281 | 42128.5581 | 6332.823 | 26176 | 2280 | 7377 | 1437 | 1750.5488 | 13281.3202 | 244.7829 | 11665 | 0 | 0
8 | 13 | 14 | 37227 | 43443.909 | 45666.3609 | 6332.823 | 26176 | 2280 | 7377 | 1437 | 1750.5488 | 12771.7236 | 283.8789 | 11665 | 0 | 0
8 | 13 | 15 | 39886 | 46546.962 | 48928.1562 | 6332.823 | 26176 | 2280 | 7377 | 1437 | 1750.5488 | 12408.7727 | 321.6486 | 11665 | 0 | 0
8 | 13 | 16 | 42210 | 49259.07 | 51779.007 | 0 | 26176 | 2280 | 7377 | 1437 | 1750.5488 | 11316.6374 | 424.3089 | 11665 | 0 | 0
8 | 13 | 17 | 43556 | 50829.852 | 53430.1452 | 0 | 26176 | 2280 | 7377 | 1437 | 1750.5488 | 9815.4612 | 751.1745 | 5500 | 1012.1857 | 1411.6297
8 | 13 | 18 | 44885 | 52380.795 | 55060.4295 | 0 | 26176 | 2280 | 7377 | 1437 | 1750.5488 | 6830.9255 | 1082.8024 | 5500 | 5070.5543 | 1335.1689
8 | 13 | 19 | 44896 | 52393.632 | 55073.9232 | 0 | 26176 | 2280 | 7377 | 1437 | 1750.5488 | 2468.3404 | 1435.1089 | 5500 | 9177.3619 | 1249.6401
8 | 13 | 20 | 43425 | 50676.975 | 53269.4475 | 0 | 26176 | 2280 | 7377 | 1437 | 1750.5488 | 131.8604 | 1594.8279 | 5500 | 9943.2055 | 1189.5574
8 | 13 | 21 | 41537 | 48473.679 | 50953.4379 | 0 | 26176 | 2280 | 7377 | 1437 | 1750.5488 | 0 | 1750.8711 | 5500 | 8191.6874 | 1022.2262
8 | 13 | 22 | 39628 | 46245.876 | 48611.6676 | 0 | 26176 | 2280 | 7377 | 1437 | 1750.5488 | 0 | 1897.3264 | 5500 | 6869.2659 | 289.7
8 | 13 | 23 | 36518 | 42616.506 | 44796.6306 | 0 | 26176 | 2280 | 7377 | 1437 | 1750.5488 | 0 | 1688.4058 | 5500 | 4258.4787 | 0
8 | 13 | 24 | 33651 | 39270.717 | 41279.6817 | 0 | 26176 | 2280 | 7377 | 1437 | 1750.5488 | 0 | 1638.5851 | 11665 | 0 | 0
9 | 3 | 1 | 31938 | 37271.646 | 39178.3446 | 0 | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 0 | 742.4458 | 11665 | 0 | 0
9 | 3 | 2 | 29021 | 33867.507 | 35600.0607 | 0 | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 0 | 725.1147 | 11665 | 0 | 0
9 | 3 | 3 | 27505 | 32098.335 | 33740.3835 | 0 | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 0 | 719.5819 | 11665 | 0 | 0
9 | 3 | 4 | 26546 | 30979.182 | 32563.9782 | 0 | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 0 | 591.8597 | 11665 | 0 | 0
9 | 3 | 5 | 26324 | 30720.108 | 32291.6508 | 0 | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 0 | 356.993 | 11665 | 0 | 0
9 | 3 | 6 | 27208 | 31751.736 | 33376.0536 | 0 | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 0 | 328.293 | 11665 | 0 | 0
9 | 3 | 7 | 28924 | 33754.308 | 35481.0708 | 0 | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 155.3087 | 330.9584 | 11665 | 0 | 0
9 | 3 | 8 | 30129 | 35160.543 | 36959.2443 | 6332.823 | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 3417.637 | 323.6146 | 11665 | 0 | 0
9 | 3 | 9 | 30988 | 36162.996 | 38012.9796 | 6332.823 | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 8622.7873 | 277.9924 | 11665 | 0 | 0
9 | 3 | 10 | 31966 | 37304.322 | 39212.6922 | 6332.823 | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 11304.5566 | 205.7626 | 11665 | 0 | 0
9 | 3 | 11 | 32714 | 38177.238 | 40130.2638 | 6332.823 | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 12390.1945 | 221.5905 | 11665 | 0 | 0
9 | 3 | 12 | 33941 | 39609.147 | 41635.4247 | 6332.823 | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 12923.9867 | 199.8635 | 11665 | 0 | 0
9 | 3 | 13 | 35859 | 41847.453 | 43988.2353 | 6332.823 | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 13035.8448 | 216.3862 | 11665 | 0 | 0
9 | 3 | 14 | 38498 | 44927.166 | 47225.4966 | 6332.823 | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 12592.8672 | 311.6441 | 11665 | 0 | 0
9 | 3 | 15 | 41151 | 48023.217 | 50479.9317 | 6332.823 | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 12166.7659 | 316.5585 | 11665 | 0 | 0
9 | 3 | 16 | 44374 | 51784.458 | 54433.5858 | 0 | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 11529.8623 | 324.314 | 11665 | 0 | 0
9 | 3 | 17 | 45351 | 52924.617 | 55632.0717 | 0 | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 8779.1616 | 396.1921 | 5500 | 2264.0127 | 1392.0007
9 | 3 | 18 | 46094 | 53791.698 | 56543.5098 | 0 | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 5405.9231 | 535.6221 | 5500 | 6312.9817 | 1319.8403
9 | 3 | 19 | 45913 | 53580.471 | 56321.4771 | 0 | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 1148.5296 | 785.4704 | 5500 | 10219.5393 | 1239.8278
9 | 3 | 20 | 44356 | 51763.452 | 54411.5052 | 0 | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 0 | 905.1207 | 5500 | 9740.8013 | 1177.6537
9 | 3 | 21 | 42013 | 49029.171 | 51537.3471 | 0 | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 0 | 1081.6276 | 5500 | 7382.4506 | 1023.9422
9 | 3 | 22 | 39765 | 46405.755 | 48779.7255 | 0 | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 0 | 1164.0641 | 5500 | 5789.963 | 287.33
9 | 3 | 23 | 36490 | 42583.83 | 44762.283 | 0 | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 0 | 1096.5839 | 5500 | 2869.8916 | 0
9 | 3 | 24 | 33712 | 39341.904 | 41354.5104 | 0 | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 0 | 1058.7258 | 11665 | 0 | 0

## Chart Data
MONTH | DAY | HOUR (PDT) | 2024 IEPR Forecast | Forecast + 16.7% PRM | Forecast + 22.67% PRM | Charging Load (Y/N) | Natural Gas | Nuclear | Hydro | Other | Other Renewables | Solar | Wind | Imports | Battery Storage | Demand Response | Surplus MW | Suprlus % | Surplus MW at 0.1 LOLE | Surplus % at 0.1 LOLE
5 | 28 | 1 | 25460 | 29711.82 | 31231.782 | N | 26236 | 2280 | 6814 | 1183 | 1747.5128 | 0 | 2573.8774 | 11665 | 0 | 0 | 27039.3902 | 106.2% | 25588.3902 | 100.5%
5 | 28 | 2 | 23856 | 27839.952 | 29264.1552 | N | 26236 | 2280 | 6814 | 1183 | 1747.5128 | 0 | 2389.5418 | 11665 | 0 | 0 | 28459.0545 | 119.3% | 27008.0545 | 113.2%
5 | 28 | 3 | 22851 | 26667.117 | 28031.3217 | N | 26236 | 2280 | 6814 | 1183 | 1747.5128 | 0 | 2224.2299 | 11665 | 0 | 0 | 29298.7427 | 128.2% | 27847.7427 | 121.9%
5 | 28 | 4 | 22267 | 25985.589 | 27314.9289 | N | 26236 | 2280 | 6814 | 1183 | 1747.5128 | 0 | 1985.5546 | 11665 | 0 | 0 | 29644.0674 | 133.1% | 28193.0674 | 126.6%
5 | 28 | 5 | 22285 | 26006.595 | 27337.0095 | N | 26236 | 2280 | 6814 | 1183 | 1747.5128 | 0 | 1705.5695 | 11665 | 0 | 0 | 29346.0823 | 131.7% | 27895.0823 | 125.2%
5 | 28 | 6 | 22954 | 26787.318 | 28157.6718 | N | 26236 | 2280 | 6814 | 1183 | 1747.5128 | 0 | 1415.7156 | 11665 | 0 | 0 | 28387.2284 | 123.7% | 26936.2284 | 117.3%
5 | 28 | 7 | 23606 | 27548.202 | 28957.4802 | N | 26236 | 2280 | 6814 | 1183 | 1747.5128 | 1785.3138 | 1173.7749 | 11665 | 0 | 0 | 29278.6015 | 124% | 27827.6015 | 117.9%
5 | 28 | 8 | 24081 | 28102.527 | 29540.1627 | N | 26236 | 2280 | 6814 | 1183 | 1747.5128 | 7617.3163 | 762.4265 | 11665 | 0 | 0 | 34224.2556 | 142.1% | 32773.2556 | 136.1%
5 | 28 | 9 | 23779 | 27750.093 | 29169.6993 | N | 26236 | 2280 | 6814 | 1183 | 1747.5128 | 11598.9307 | 535.6947 | 11665 | 0 | 0 | 38281.1382 | 161% | 36830.1382 | 154.9%
5 | 28 | 10 | 22933 | 26762.811 | 28131.9111 | N | 26236 | 2280 | 6814 | 1183 | 1747.5128 | 13218.9361 | 479.037 | 11665 | 0 | 0 | 40690.4859 | 177.4% | 39239.4859 | 171.1%
5 | 28 | 11 | 21917 | 25577.139 | 26885.5839 | N | 26236 | 2280 | 6814 | 1183 | 1747.5128 | 13811.9694 | 450.9161 | 11665 | 0 | 0 | 42271.3983 | 192.9% | 40820.3983 | 186.2%
5 | 28 | 12 | 21262 | 24812.754 | 26082.0954 | N | 26236 | 2280 | 6814 | 1183 | 1747.5128 | 14064.6146 | 417.414 | 11665 | 0 | 0 | 43145.5414 | 202.9% | 41694.5414 | 196.1%
5 | 28 | 13 | 21241 | 24788.247 | 26056.3347 | N | 26236 | 2280 | 6814 | 1183 | 1747.5128 | 14271.0183 | 384.2212 | 11665 | 0 | 0 | 43339.7523 | 204% | 41888.7523 | 197.2%
5 | 28 | 14 | 21867 | 25518.789 | 26824.2489 | N | 26236 | 2280 | 6814 | 1183 | 1747.5128 | 13929.4915 | 506.1927 | 11665 | 0 | 0 | 42494.197 | 194.3% | 41043.197 | 187.7%
5 | 28 | 15 | 22924 | 26752.308 | 28120.8708 | N | 26236 | 2280 | 6814 | 1183 | 1747.5128 | 13829.7485 | 559.8881 | 11665 | 0 | 0 | 41391.1494 | 180.6% | 39940.1494 | 174.2%
5 | 28 | 16 | 24577 | 28681.359 | 30148.6059 | N | 26236 | 2280 | 6814 | 1183 | 1747.5128 | 13156.4844 | 836.7911 | 11665 | 0 | 0 | 39341.7882 | 160.1% | 37890.7882 | 154.2%
5 | 28 | 17 | 26456 | 30874.152 | 32453.5752 | N | 26236 | 2280 | 6814 | 1183 | 1747.5128 | 11569.8114 | 1445.7861 | 5500 | 0 | 270.55 | 30590.6603 | 115.6% | 29139.6603 | 110.1%
5 | 28 | 18 | 28674 | 33462.558 | 35174.3958 | N | 26236 | 2280 | 6814 | 1183 | 1747.5128 | 9310.23 | 1873.3319 | 5500 | 0 | 1163.9928 | 27434.0675 | 95.68% | 25983.0675 | 90.62%
5 | 28 | 19 | 30391 | 35466.297 | 37280.6397 | N | 26236 | 2280 | 6814 | 1183 | 1747.5128 | 4454.0546 | 2041.508 | 5500 | 5537.5363 | 1146.3882 | 26549 | 87.36% | 25098 | 82.58%
5 | 28 | 20 | 30943 | 36110.481 | 37957.7781 | N | 26236 | 2280 | 6814 | 1183 | 1747.5128 | 456.9584 | 1980.5365 | 5500 | 10211.5142 | 1082.478 | 26549 | 85.8% | 25098 | 81.11%
5 | 28 | 21 | 31026 | 36207.342 | 38059.5942 | N | 26236 | 2280 | 6814 | 1183 | 1747.5128 | 0 | 2284.7625 | 5500 | 10478.8123 | 1044.1952 | 26542.2828 | 85.55% | 25091.2828 | 80.87%
5 | 28 | 22 | 30084 | 35108.028 | 36904.0428 | N | 26236 | 2280 | 6814 | 1183 | 1747.5128 | 0 | 2529.0306 | 5500 | 9303.4621 | 1033.328 | 26542.3335 | 88.23% | 25091.3335 | 83.4%
5 | 28 | 23 | 28132 | 32830.044 | 34509.5244 | N | 26236 | 2280 | 6814 | 1183 | 1747.5128 | 0 | 2512.3848 | 5500 | 8402.4342 | 0 | 26543.3318 | 94.35% | 25092.3318 | 89.19%
5 | 28 | 24 | 26478 | 30899.826 | 32480.5626 | N | 26236 | 2280 | 6814 | 1183 | 1747.5128 | 0 | 2462.3873 | 11665 | 0 | 0 | 25909.9001 | 97.85% | 24458.9001 | 92.37%
6 | 25 | 1 | 30164 | 35201.388 | 37002.1788 | N | 26186 | 2280 | 7103 | 1741 | 1757.6416 | 0 | 1865.9756 | 11665 | 0 | 0 | 22434.6172 | 74.38% | 20983.6172 | 69.57%
6 | 25 | 2 | 27268 | 31821.756 | 33449.6556 | N | 26186 | 2280 | 7103 | 1741 | 1757.6416 | 0 | 1491.7733 | 11665 | 0 | 0 | 24956.4149 | 91.52% | 23505.4149 | 86.2%
6 | 25 | 3 | 25791 | 30098.097 | 31637.8197 | N | 26186 | 2280 | 7103 | 1741 | 1757.6416 | 0 | 1220.6049 | 11665 | 0 | 0 | 26162.2465 | 101.4% | 24711.2465 | 95.81%
6 | 25 | 4 | 24967 | 29136.489 | 30627.0189 | N | 26186 | 2280 | 7103 | 1741 | 1757.6416 | 0 | 1129.6678 | 11665 | 0 | 0 | 26895.3094 | 107.7% | 25444.3094 | 101.9%
6 | 25 | 5 | 24862 | 29013.954 | 30498.2154 | N | 26186 | 2280 | 7103 | 1741 | 1757.6416 | 0 | 865.1025 | 11665 | 0 | 0 | 26735.7441 | 107.5% | 25284.7441 | 101.7%
6 | 25 | 6 | 25397 | 29638.299 | 31154.4999 | N | 26186 | 2280 | 7103 | 1741 | 1757.6416 | 0 | 653.1938 | 11665 | 0 | 0 | 25988.8354 | 102.3% | 24537.8354 | 96.62%
6 | 25 | 7 | 26090 | 30447.03 | 32004.603 | N | 26186 | 2280 | 7103 | 1741 | 1757.6416 | 2350.7633 | 598.2768 | 11665 | 0 | 0 | 27591.6817 | 105.8% | 26140.6817 | 100.2%
6 | 25 | 8 | 27323 | 31885.941 | 33517.1241 | N | 26186 | 2280 | 7103 | 1741 | 1757.6416 | 7823.7234 | 458.1752 | 11665 | 0 | 0 | 31691.5402 | 116% | 30240.5402 | 110.7%
6 | 25 | 9 | 27970 | 32640.99 | 34310.799 | N | 26186 | 2280 | 7103 | 1741 | 1757.6416 | 11153.9009 | 344.4232 | 11665 | 0 | 0 | 34260.9657 | 122.5% | 32809.9657 | 117.3%
6 | 25 | 10 | 27881 | 32537.127 | 34201.6227 | N | 26186 | 2280 | 7103 | 1741 | 1757.6416 | 13002.7831 | 268.8595 | 11665 | 0 | 0 | 36123.2842 | 129.6% | 34672.2842 | 124.4%
6 | 25 | 11 | 28025 | 32705.175 | 34378.2675 | N | 26186 | 2280 | 7103 | 1741 | 1757.6416 | 13747.4229 | 354.0244 | 11665 | 0 | 0 | 36809.089 | 131.3% | 35358.089 | 126.2%
6 | 25 | 12 | 28695 | 33487.065 | 35200.1565 | N | 26186 | 2280 | 7103 | 1741 | 1757.6416 | 14008.4257 | 286.9359 | 11665 | 0 | 0 | 36333.0032 | 126.6% | 34882.0032 | 121.6%
6 | 25 | 13 | 30015 | 35027.505 | 36819.4005 | N | 26186 | 2280 | 7103 | 1741 | 1757.6416 | 14061.1071 | 303.0417 | 11665 | 0 | 0 | 35081.7904 | 116.9% | 33630.7904 | 112%
6 | 25 | 14 | 32194 | 37570.398 | 39492.3798 | N | 26186 | 2280 | 7103 | 1741 | 1757.6416 | 13651.3892 | 384.2023 | 11665 | 0 | 0 | 32574.2331 | 101.2% | 31123.2331 | 96.67%
6 | 25 | 15 | 34702 | 40497.234 | 42568.9434 | N | 26186 | 2280 | 7103 | 1741 | 1757.6416 | 13376.1375 | 556.1491 | 11665 | 0 | 0 | 29962.9281 | 86.34% | 28511.9281 | 82.16%
6 | 25 | 16 | 37487 | 43747.329 | 45985.3029 | N | 26186 | 2280 | 7103 | 1741 | 1757.6416 | 12737.8159 | 868.2605 | 11665 | 0 | 0 | 26851.7181 | 71.63% | 25400.7181 | 67.76%
6 | 25 | 17 | 38803 | 45283.101 | 47599.6401 | N | 26186 | 2280 | 7103 | 1741 | 1757.6416 | 11410.8142 | 1212.3436 | 5500 | 0 | 1412.9438 | 19800.7431 | 51.03% | 18349.7431 | 47.29%
6 | 25 | 18 | 40383 | 47126.961 | 49537.8261 | N | 26186 | 2280 | 7103 | 1741 | 1757.6416 | 9580.3747 | 1631.4733 | 5500 | 2024.2168 | 1356.2936 | 18777 | 46.5% | 17326 | 42.9%
6 | 25 | 19 | 41047 | 47901.849 | 50352.3549 | N | 26186 | 2280 | 7103 | 1741 | 1757.6416 | 5652.2275 | 1806.0602 | 5500 | 6514.9177 | 1283.153 | 18777 | 45.75% | 17326 | 42.21%
6 | 25 | 20 | 40264 | 46988.088 | 49391.8488 | N | 26186 | 2280 | 7103 | 1741 | 1757.6416 | 1274.0083 | 2112.9673 | 5500 | 9857.4218 | 1228.961 | 18777 | 46.63% | 17326 | 43.03%
6 | 25 | 21 | 39184 | 45727.728 | 48067.0128 | N | 26186 | 2280 | 7103 | 1741 | 1757.6416 | 0 | 2303.6094 | 5500 | 9981.299 | 1091.9361 | 18760.4861 | 47.88% | 17309.4861 | 44.17%
6 | 25 | 22 | 37622 | 43904.874 | 46150.9074 | N | 26186 | 2280 | 7103 | 1741 | 1757.6416 | 0 | 2454.2586 | 5500 | 9051.5076 | 320.55 | 18771.9578 | 49.9% | 17320.9578 | 46.04%
6 | 25 | 23 | 34804 | 40616.268 | 42694.0668 | N | 26186 | 2280 | 7103 | 1741 | 1757.6416 | 0 | 2507.7173 | 5500 | 6502.4263 | 0 | 18773.7852 | 53.94% | 17322.7852 | 49.77%
6 | 25 | 24 | 32034 | 37383.678 | 39296.1078 | N | 26186 | 2280 | 7103 | 1741 | 1757.6416 | 0 | 2422.4639 | 11665 | 0 | 0 | 21121.1055 | 65.93% | 19670.1055 | 61.4%
7 | 23 | 1 | 32177 | 37550.559 | 39471.5259 | N | 26175 | 2280 | 7310 | 2012 | 1759.5577 | 0 | 2143.903 | 11665 | 0 | 0 | 21168.4607 | 65.79% | 19717.4607 | 61.28%
7 | 23 | 2 | 29355 | 34257.285 | 36009.7785 | N | 26175 | 2280 | 7310 | 2012 | 1759.5577 | 0 | 2148.0084 | 11665 | 0 | 0 | 23994.5661 | 81.74% | 22543.5661 | 76.8%
7 | 23 | 3 | 27795 | 32436.765 | 34096.1265 | N | 26175 | 2280 | 7310 | 2012 | 1759.5577 | 0 | 1994.9086 | 11665 | 0 | 0 | 25401.4663 | 91.39% | 23950.4663 | 86.17%
7 | 23 | 4 | 26868 | 31354.956 | 32958.9756 | N | 26175 | 2280 | 7310 | 2012 | 1759.5577 | 0 | 1943.4206 | 11665 | 0 | 0 | 26276.9782 | 97.8% | 24825.9782 | 92.4%
7 | 23 | 5 | 26670 | 31123.89 | 32716.089 | N | 26175 | 2280 | 7310 | 2012 | 1759.5577 | 0 | 1651.956 | 11665 | 0 | 0 | 26183.5137 | 98.18% | 24732.5137 | 92.74%
7 | 23 | 6 | 27360 | 31929.12 | 33562.512 | N | 26175 | 2280 | 7310 | 2012 | 1759.5577 | 0 | 1369.6372 | 11665 | 0 | 0 | 25211.1949 | 92.15% | 23760.1949 | 86.84%
7 | 23 | 7 | 28292 | 33016.764 | 34705.7964 | N | 26175 | 2280 | 7310 | 2012 | 1759.5577 | 1155.0269 | 1098.7293 | 11665 | 0 | 0 | 25163.3138 | 88.94% | 23712.3138 | 83.81%
7 | 23 | 8 | 29753 | 34721.751 | 36498.0051 | N | 26175 | 2280 | 7310 | 2012 | 1759.5577 | 5922.1184 | 844.3102 | 11665 | 0 | 0 | 28214.9864 | 94.83% | 26763.9864 | 89.95%
7 | 23 | 9 | 30610 | 35721.87 | 37549.287 | N | 26175 | 2280 | 7310 | 2012 | 1759.5577 | 10301.0144 | 503.7894 | 11665 | 0 | 0 | 31396.3615 | 102.6% | 29945.3615 | 97.83%
7 | 23 | 10 | 31146 | 36347.382 | 38206.7982 | N | 26175 | 2280 | 7310 | 2012 | 1759.5577 | 12155.548 | 351.6875 | 11665 | 0 | 0 | 32562.7931 | 104.5% | 31111.7931 | 99.89%
7 | 23 | 11 | 31692 | 36984.564 | 38876.5764 | N | 26175 | 2280 | 7310 | 2012 | 1759.5577 | 13005.135 | 302.1322 | 11665 | 0 | 0 | 32816.8248 | 103.5% | 31365.8248 | 98.97%
7 | 23 | 12 | 33182 | 38723.394 | 40704.3594 | N | 26175 | 2280 | 7310 | 2012 | 1759.5577 | 13272.8602 | 265.8531 | 11665 | 0 | 0 | 31558.2709 | 95.11% | 30107.2709 | 90.73%
7 | 23 | 13 | 34838 | 40655.946 | 42735.7746 | N | 26175 | 2280 | 7310 | 2012 | 1759.5577 | 13285.7363 | 370.585 | 11665 | 0 | 0 | 30019.8789 | 86.17% | 28568.8789 | 82%
7 | 23 | 14 | 37539 | 43808.013 | 46049.0913 | N | 26175 | 2280 | 7310 | 2012 | 1759.5577 | 13097.7382 | 457.8847 | 11665 | 0 | 0 | 27218.1806 | 72.51% | 25767.1806 | 68.64%
7 | 23 | 15 | 40464 | 47221.488 | 49637.1888 | N | 26175 | 2280 | 7310 | 2012 | 1759.5577 | 12761.6562 | 667.3359 | 11665 | 0 | 0 | 24166.5498 | 59.72% | 22715.5498 | 56.14%
7 | 23 | 16 | 43190 | 50402.73 | 52981.173 | N | 26175 | 2280 | 7310 | 2012 | 1759.5577 | 12178.7453 | 1156.4596 | 11665 | 0 | 0 | 21346.7625 | 49.43% | 19895.7625 | 46.07%
7 | 23 | 17 | 44559 | 52000.353 | 54660.5253 | N | 26175 | 2280 | 7310 | 2012 | 1759.5577 | 11034.0058 | 1622.7572 | 5500 | 1081.6844 | 1433.9949 | 15650 | 35.12% | 14199 | 31.87%
7 | 23 | 18 | 45568 | 53177.856 | 55898.2656 | N | 26175 | 2280 | 7310 | 2012 | 1759.5577 | 8942 | 1986.0536 | 5500 | 3894.3847 | 1359.004 | 15650 | 34.34% | 14199 | 31.16%
7 | 23 | 19 | 45434 | 53021.478 | 55733.8878 | N | 26175 | 2280 | 7310 | 2012 | 1759.5577 | 5077.066 | 2032.2788 | 5500 | 7666.7475 | 1271.35 | 15650 | 34.45% | 14199 | 31.25%
7 | 23 | 20 | 43726 | 51028.242 | 53638.6842 | N | 26175 | 2280 | 7310 | 2012 | 1759.5577 | 941.6488 | 2275.7938 | 5500 | 9915.6684 | 1206.3314 | 15650 | 35.79% | 14199 | 32.47%
7 | 23 | 21 | 41826 | 48810.942 | 51307.9542 | N | 26175 | 2280 | 7310 | 2012 | 1759.5577 | 0 | 2527.5874 | 5500 | 8857.7222 | 1046.0111 | 15641.8784 | 37.4% | 14190.8784 | 33.93%
7 | 23 | 22 | 40143 | 46846.881 | 49243.4181 | N | 26175 | 2280 | 7310 | 2012 | 1759.5577 | 0 | 2627.8692 | 5500 | 7798.3163 | 325.57 | 15645.3132 | 38.97% | 14194.3132 | 35.36%
7 | 23 | 23 | 37058 | 43246.686 | 45459.0486 | N | 26175 | 2280 | 7310 | 2012 | 1759.5577 | 0 | 2542.8469 | 5500 | 5122.7919 | 0 | 15644.1964 | 42.22% | 14193.1964 | 38.3%
7 | 23 | 24 | 34187 | 39896.229 | 41937.1929 | N | 26175 | 2280 | 7310 | 2012 | 1759.5577 | 0 | 2446.2247 | 11665 | 0 | 0 | 19460.7824 | 56.92% | 18009.7824 | 52.68%
8 | 13 | 1 | 31854 | 37173.618 | 39075.3018 | N | 26176 | 2280 | 7377 | 1437 | 1750.5488 | 0 | 1745.4914 | 11665 | 0 | 0 | 20577.0402 | 64.6% | 19126.0402 | 60.04%
8 | 13 | 2 | 29219 | 34098.573 | 35842.9473 | N | 26176 | 2280 | 7377 | 1437 | 1750.5488 | 0 | 1704.7642 | 11665 | 0 | 0 | 23171.313 | 79.3% | 21720.313 | 74.34%
8 | 13 | 3 | 27684 | 32307.228 | 33959.9628 | N | 26176 | 2280 | 7377 | 1437 | 1750.5488 | 0 | 1455.0927 | 11665 | 0 | 0 | 24456.6415 | 88.34% | 23005.6415 | 83.1%
8 | 13 | 4 | 26703 | 31162.401 | 32756.5701 | N | 26176 | 2280 | 7377 | 1437 | 1750.5488 | 0 | 1262.5179 | 11665 | 0 | 0 | 25245.0667 | 94.54% | 23794.0667 | 89.11%
8 | 13 | 5 | 26572 | 31009.524 | 32595.8724 | N | 26176 | 2280 | 7377 | 1437 | 1750.5488 | 0 | 1071.0925 | 11665 | 0 | 0 | 25184.6414 | 94.78% | 23733.6414 | 89.32%
8 | 13 | 6 | 27405 | 31981.635 | 33617.7135 | N | 26176 | 2280 | 7377 | 1437 | 1750.5488 | 0 | 971.7087 | 11665 | 0 | 0 | 24252.2576 | 88.5% | 22801.2576 | 83.2%
8 | 13 | 7 | 28639 | 33421.713 | 35131.4613 | N | 26176 | 2280 | 7377 | 1437 | 1750.5488 | 383.8979 | 742.0416 | 11665 | 0 | 0 | 23172.4883 | 80.91% | 21721.4883 | 75.85%
8 | 13 | 8 | 29613 | 34558.371 | 36326.2671 | N | 26176 | 2280 | 7377 | 1437 | 1750.5488 | 4157.3117 | 547.534 | 11665 | 0 | 0 | 25777.3945 | 87.05% | 24326.3945 | 82.15%
8 | 13 | 9 | 30171 | 35209.557 | 37010.7657 | N | 26176 | 2280 | 7377 | 1437 | 1750.5488 | 8821.2589 | 349.8306 | 11665 | 0 | 0 | 29685.6384 | 98.39% | 28234.6384 | 93.58%
8 | 13 | 10 | 30500 | 35593.5 | 37414.35 | N | 26176 | 2280 | 7377 | 1437 | 1750.5488 | 11288.2626 | 329.5364 | 11665 | 0 | 0 | 31803.3479 | 104.3% | 30352.3479 | 99.52%
8 | 13 | 11 | 31093 | 36285.531 | 38141.7831 | N | 26176 | 2280 | 7377 | 1437 | 1750.5488 | 12502.2895 | 250.2147 | 11665 | 0 | 0 | 32345.053 | 104% | 30894.053 | 99.36%
8 | 13 | 12 | 32500 | 37927.5 | 39867.75 | N | 26176 | 2280 | 7377 | 1437 | 1750.5488 | 13031.2933 | 199.4972 | 11665 | 0 | 0 | 31416.3393 | 96.67% | 29965.3393 | 92.2%
8 | 13 | 13 | 34343 | 40078.281 | 42128.5581 | N | 26176 | 2280 | 7377 | 1437 | 1750.5488 | 13281.3202 | 244.7829 | 11665 | 0 | 0 | 29868.6519 | 86.97% | 28417.6519 | 82.75%
8 | 13 | 14 | 37227 | 43443.909 | 45666.3609 | N | 26176 | 2280 | 7377 | 1437 | 1750.5488 | 12771.7236 | 283.8789 | 11665 | 0 | 0 | 26514.1514 | 71.22% | 25063.1514 | 67.33%
8 | 13 | 15 | 39886 | 46546.962 | 48928.1562 | N | 26176 | 2280 | 7377 | 1437 | 1750.5488 | 12408.7727 | 321.6486 | 11665 | 0 | 0 | 23529.9701 | 58.99% | 22078.9701 | 55.36%
8 | 13 | 16 | 42210 | 49259.07 | 51779.007 | N | 26176 | 2280 | 7377 | 1437 | 1750.5488 | 11316.6374 | 424.3089 | 11665 | 0 | 0 | 20216.4951 | 47.9% | 18765.4951 | 44.46%
8 | 13 | 17 | 43556 | 50829.852 | 53430.1452 | N | 26176 | 2280 | 7377 | 1437 | 1750.5488 | 9815.4612 | 751.1745 | 5500 | 1012.1857 | 1411.6297 | 13955 | 32.04% | 12504 | 28.71%
8 | 13 | 18 | 44885 | 52380.795 | 55060.4295 | N | 26176 | 2280 | 7377 | 1437 | 1750.5488 | 6830.9255 | 1082.8024 | 5500 | 5070.5543 | 1335.1689 | 13955 | 31.09% | 12504 | 27.86%
8 | 13 | 19 | 44896 | 52393.632 | 55073.9232 | N | 26176 | 2280 | 7377 | 1437 | 1750.5488 | 2468.3404 | 1435.1089 | 5500 | 9177.3619 | 1249.6401 | 13955 | 31.08% | 12504 | 27.85%
8 | 13 | 20 | 43425 | 50676.975 | 53269.4475 | N | 26176 | 2280 | 7377 | 1437 | 1750.5488 | 131.8604 | 1594.8279 | 5500 | 9943.2055 | 1189.5574 | 13955 | 32.14% | 12504 | 28.79%
8 | 13 | 21 | 41537 | 48473.679 | 50953.4379 | N | 26176 | 2280 | 7377 | 1437 | 1750.5488 | 0 | 1750.8711 | 5500 | 8191.6874 | 1022.2262 | 13948.3335 | 33.58% | 12497.3335 | 30.09%
8 | 13 | 22 | 39628 | 46245.876 | 48611.6676 | N | 26176 | 2280 | 7377 | 1437 | 1750.5488 | 0 | 1897.3264 | 5500 | 6869.2659 | 289.7 | 13948.8411 | 35.2% | 12497.8411 | 31.54%
8 | 13 | 23 | 36518 | 42616.506 | 44796.6306 | N | 26176 | 2280 | 7377 | 1437 | 1750.5488 | 0 | 1688.4058 | 5500 | 4258.4787 | 0 | 13949.4333 | 38.2% | 12498.4333 | 34.23%
8 | 13 | 24 | 33651 | 39270.717 | 41279.6817 | N | 26176 | 2280 | 7377 | 1437 | 1750.5488 | 0 | 1638.5851 | 11665 | 0 | 0 | 18673.134 | 55.49% | 17222.134 | 51.18%
9 | 3 | 1 | 31938 | 37271.646 | 39178.3446 | N | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 0 | 742.4458 | 11665 | 0 | 0 | 19389.0787 | 60.71% | 17938.0787 | 56.17%
9 | 3 | 2 | 29021 | 33867.507 | 35600.0607 | N | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 0 | 725.1147 | 11665 | 0 | 0 | 22288.7476 | 76.8% | 20837.7476 | 71.8%
9 | 3 | 3 | 27505 | 32098.335 | 33740.3835 | N | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 0 | 719.5819 | 11665 | 0 | 0 | 23799.2147 | 86.53% | 22348.2147 | 81.25%
9 | 3 | 4 | 26546 | 30979.182 | 32563.9782 | N | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 0 | 591.8597 | 11665 | 0 | 0 | 24630.4926 | 92.78% | 23179.4926 | 87.32%
9 | 3 | 5 | 26324 | 30720.108 | 32291.6508 | N | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 0 | 356.993 | 11665 | 0 | 0 | 24617.6258 | 93.52% | 23166.6258 | 88.01%
9 | 3 | 6 | 27208 | 31751.736 | 33376.0536 | N | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 0 | 328.293 | 11665 | 0 | 0 | 23704.9259 | 87.12% | 22253.9259 | 81.79%
9 | 3 | 7 | 28924 | 33754.308 | 35481.0708 | N | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 155.3087 | 330.9584 | 11665 | 0 | 0 | 22146.8999 | 76.57% | 20695.8999 | 71.55%
9 | 3 | 8 | 30129 | 35160.543 | 36959.2443 | N | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 3417.637 | 323.6146 | 11665 | 0 | 0 | 24196.8844 | 80.31% | 22745.8844 | 75.49%
9 | 3 | 9 | 30988 | 36162.996 | 38012.9796 | N | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 8622.7873 | 277.9924 | 11665 | 0 | 0 | 28497.4126 | 91.96% | 27046.4126 | 87.28%
9 | 3 | 10 | 31966 | 37304.322 | 39212.6922 | N | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 11304.5566 | 205.7626 | 11665 | 0 | 0 | 30128.9521 | 94.25% | 28677.9521 | 89.71%
9 | 3 | 11 | 32714 | 38177.238 | 40130.2638 | N | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 12390.1945 | 221.5905 | 11665 | 0 | 0 | 30482.4179 | 93.18% | 29031.4179 | 88.74%
9 | 3 | 12 | 33941 | 39609.147 | 41635.4247 | N | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 12923.9867 | 199.8635 | 11665 | 0 | 0 | 29767.483 | 87.7% | 28316.483 | 83.43%
9 | 3 | 13 | 35859 | 41847.453 | 43988.2353 | N | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 13035.8448 | 216.3862 | 11665 | 0 | 0 | 27977.8638 | 78.02% | 26526.8638 | 73.98%
9 | 3 | 14 | 38498 | 44927.166 | 47225.4966 | N | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 12592.8672 | 311.6441 | 11665 | 0 | 0 | 24991.1441 | 64.92% | 23540.1441 | 61.15%
9 | 3 | 15 | 41151 | 48023.217 | 50479.9317 | N | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 12166.7659 | 316.5585 | 11665 | 0 | 0 | 21916.9573 | 53.26% | 20465.9573 | 49.73%
9 | 3 | 16 | 44374 | 51784.458 | 54433.5858 | N | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 11529.8623 | 324.314 | 11665 | 0 | 0 | 18064.8091 | 40.71% | 16613.8091 | 37.44%
9 | 3 | 17 | 45351 | 52924.617 | 55632.0717 | N | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 8779.1616 | 396.1921 | 5500 | 2264.0127 | 1392.0007 | 11900 | 26.24% | 10449 | 23.04%
9 | 3 | 18 | 46094 | 53791.698 | 56543.5098 | N | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 5405.9231 | 535.6221 | 5500 | 6312.9817 | 1319.8403 | 11900 | 25.82% | 10449 | 22.67%
9 | 3 | 19 | 45913 | 53580.471 | 56321.4771 | N | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 1148.5296 | 785.4704 | 5500 | 10219.5393 | 1239.8278 | 11900 | 25.92% | 10449 | 22.76%
9 | 3 | 20 | 44356 | 51763.452 | 54411.5052 | N | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 0 | 905.1207 | 5500 | 9740.8013 | 1177.6537 | 11887.2085 | 26.8% | 10436.2085 | 23.53%
9 | 3 | 21 | 42013 | 49029.171 | 51537.3471 | N | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 0 | 1081.6276 | 5500 | 7382.4506 | 1023.9422 | 11894.6533 | 28.31% | 10443.6533 | 24.86%
9 | 3 | 22 | 39765 | 46405.755 | 48779.7255 | N | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 0 | 1164.0641 | 5500 | 5789.963 | 287.33 | 11895.99 | 29.92% | 10444.99 | 26.27%
9 | 3 | 23 | 36490 | 42583.83 | 44762.283 | N | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 0 | 1096.5839 | 5500 | 2869.8916 | 0 | 11896.1084 | 32.6% | 10445.1084 | 28.62%
9 | 3 | 24 | 33712 | 39341.904 | 41354.5104 | N | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 0 | 1058.7258 | 11665 | 0 | 0 | 17931.3587 | 53.19% | 16480.3587 | 48.89%
5 | 28 | 1 | 25460 | 29711.82 | 31231.782 | Y | 26236 | 2280 | 6814 | 1183 | 1747.5128 | 0 | 2573.8774 | 11665 | 0 | 0 | 27039.3902 | 106.2% | 25588.3902 | 100.5%
5 | 28 | 2 | 23856 | 27839.952 | 29264.1552 | Y | 26236 | 2280 | 6814 | 1183 | 1747.5128 | 0 | 2389.5418 | 11665 | 0 | 0 | 28459.0545 | 119.3% | 27008.0545 | 113.2%
5 | 28 | 3 | 22851 | 26667.117 | 28031.3217 | Y | 26236 | 2280 | 6814 | 1183 | 1747.5128 | 0 | 2224.2299 | 11665 | 0 | 0 | 29298.7427 | 128.2% | 27847.7427 | 121.9%
5 | 28 | 4 | 22267 | 25985.589 | 27314.9289 | Y | 26236 | 2280 | 6814 | 1183 | 1747.5128 | 0 | 1985.5546 | 11665 | 0 | 0 | 29644.0674 | 133.1% | 28193.0674 | 126.6%
5 | 28 | 5 | 22285 | 26006.595 | 27337.0095 | Y | 26236 | 2280 | 6814 | 1183 | 1747.5128 | 0 | 1705.5695 | 11665 | 0 | 0 | 29346.0823 | 131.7% | 27895.0823 | 125.2%
5 | 28 | 6 | 22954 | 26787.318 | 28157.6718 | Y | 26236 | 2280 | 6814 | 1183 | 1747.5128 | 0 | 1415.7156 | 11665 | 0 | 0 | 28387.2284 | 123.7% | 26936.2284 | 117.3%
5 | 28 | 7 | 23606 | 27548.202 | 28957.4802 | Y | 26236 | 2280 | 6814 | 1183 | 1747.5128 | 1785.3138 | 1173.7749 | 11665 | 0 | 0 | 29278.6015 | 124% | 27827.6015 | 117.9%
5 | 28 | 8 | 24081 | 28102.527 | 29540.1627 | Y | 26236 | 2280 | 6814 | 1183 | 1747.5128 | 7617.3163 | 762.4265 | 11665 | 0 | 0 | 34224.2556 | 142.1% | 32773.2556 | 136.1%
5 | 28 | 9 | 30015.244 | 33986.337 | 35405.9433 | Y | 26236 | 2280 | 6814 | 1183 | 1747.5128 | 11598.9307 | 535.6947 | 11665 | 0 | 0 | 32044.8942 | 106.8% | 30593.8942 | 101.9%
5 | 28 | 10 | 29169.244 | 32999.055 | 34368.1551 | Y | 26236 | 2280 | 6814 | 1183 | 1747.5128 | 13218.9361 | 479.037 | 11665 | 0 | 0 | 34454.2419 | 118.1% | 33003.2419 | 113.1%
5 | 28 | 11 | 28153.244 | 31813.383 | 33121.8279 | Y | 26236 | 2280 | 6814 | 1183 | 1747.5128 | 13811.9694 | 450.9161 | 11665 | 0 | 0 | 36035.1543 | 128% | 34584.1543 | 122.8%
5 | 28 | 12 | 27498.244 | 31048.998 | 32318.3394 | Y | 26236 | 2280 | 6814 | 1183 | 1747.5128 | 14064.6146 | 417.414 | 11665 | 0 | 0 | 36909.2974 | 134.2% | 35458.2974 | 128.9%
5 | 28 | 13 | 27477.244 | 31024.491 | 32292.5787 | Y | 26236 | 2280 | 6814 | 1183 | 1747.5128 | 14271.0183 | 384.2212 | 11665 | 0 | 0 | 37103.5083 | 135% | 35652.5083 | 129.8%
5 | 28 | 14 | 28103.244 | 31755.033 | 33060.4929 | Y | 26236 | 2280 | 6814 | 1183 | 1747.5128 | 13929.4915 | 506.1927 | 11665 | 0 | 0 | 36257.953 | 129% | 34806.953 | 123.9%
5 | 28 | 15 | 29160.244 | 32988.552 | 34357.1148 | Y | 26236 | 2280 | 6814 | 1183 | 1747.5128 | 13829.7485 | 559.8881 | 11665 | 0 | 0 | 35154.9054 | 120.6% | 33703.9054 | 115.6%
5 | 28 | 16 | 30813.244 | 34917.603 | 36384.8499 | Y | 26236 | 2280 | 6814 | 1183 | 1747.5128 | 13156.4844 | 836.7911 | 11665 | 0 | 0 | 33105.5442 | 107.4% | 31654.5442 | 102.7%
5 | 28 | 17 | 26456 | 30874.152 | 32453.5752 | Y | 26236 | 2280 | 6814 | 1183 | 1747.5128 | 11569.8114 | 1445.7861 | 5500 | 0 | 270.55 | 30590.6603 | 115.6% | 29139.6603 | 110.1%
5 | 28 | 18 | 28674 | 33462.558 | 35174.3958 | Y | 26236 | 2280 | 6814 | 1183 | 1747.5128 | 9310.23 | 1873.3319 | 5500 | 0 | 1163.9928 | 27434.0675 | 95.68% | 25983.0675 | 90.62%
5 | 28 | 19 | 30391 | 35466.297 | 37280.6397 | Y | 26236 | 2280 | 6814 | 1183 | 1747.5128 | 4454.0546 | 2041.508 | 5500 | 5537.5363 | 1146.3882 | 26549 | 87.36% | 25098 | 82.58%
5 | 28 | 20 | 30943 | 36110.481 | 37957.7781 | Y | 26236 | 2280 | 6814 | 1183 | 1747.5128 | 456.9584 | 1980.5365 | 5500 | 10211.5142 | 1082.478 | 26549 | 85.8% | 25098 | 81.11%
5 | 28 | 21 | 31026 | 36207.342 | 38059.5942 | Y | 26236 | 2280 | 6814 | 1183 | 1747.5128 | 0 | 2284.7625 | 5500 | 10478.8123 | 1044.1952 | 26542.2828 | 85.55% | 25091.2828 | 80.87%
5 | 28 | 22 | 30084 | 35108.028 | 36904.0428 | Y | 26236 | 2280 | 6814 | 1183 | 1747.5128 | 0 | 2529.0306 | 5500 | 9303.4621 | 1033.328 | 26542.3335 | 88.23% | 25091.3335 | 83.4%
5 | 28 | 23 | 28132 | 32830.044 | 34509.5244 | Y | 26236 | 2280 | 6814 | 1183 | 1747.5128 | 0 | 2512.3848 | 5500 | 8402.4342 | 0 | 26543.3318 | 94.35% | 25092.3318 | 89.19%
5 | 28 | 24 | 26478 | 30899.826 | 32480.5626 | Y | 26236 | 2280 | 6814 | 1183 | 1747.5128 | 0 | 2462.3873 | 11665 | 0 | 0 | 25909.9001 | 97.85% | 24458.9001 | 92.37%
6 | 25 | 1 | 30164 | 35201.388 | 37002.1788 | Y | 26186 | 2280 | 7103 | 1741 | 1757.6416 | 0 | 1865.9756 | 11665 | 0 | 0 | 22434.6172 | 74.38% | 20983.6172 | 69.57%
6 | 25 | 2 | 27268 | 31821.756 | 33449.6556 | Y | 26186 | 2280 | 7103 | 1741 | 1757.6416 | 0 | 1491.7733 | 11665 | 0 | 0 | 24956.4149 | 91.52% | 23505.4149 | 86.2%
6 | 25 | 3 | 25791 | 30098.097 | 31637.8197 | Y | 26186 | 2280 | 7103 | 1741 | 1757.6416 | 0 | 1220.6049 | 11665 | 0 | 0 | 26162.2465 | 101.4% | 24711.2465 | 95.81%
6 | 25 | 4 | 24967 | 29136.489 | 30627.0189 | Y | 26186 | 2280 | 7103 | 1741 | 1757.6416 | 0 | 1129.6678 | 11665 | 0 | 0 | 26895.3094 | 107.7% | 25444.3094 | 101.9%
6 | 25 | 5 | 24862 | 29013.954 | 30498.2154 | Y | 26186 | 2280 | 7103 | 1741 | 1757.6416 | 0 | 865.1025 | 11665 | 0 | 0 | 26735.7441 | 107.5% | 25284.7441 | 101.7%
6 | 25 | 6 | 25397 | 29638.299 | 31154.4999 | Y | 26186 | 2280 | 7103 | 1741 | 1757.6416 | 0 | 653.1938 | 11665 | 0 | 0 | 25988.8354 | 102.3% | 24537.8354 | 96.62%
6 | 25 | 7 | 26090 | 30447.03 | 32004.603 | Y | 26186 | 2280 | 7103 | 1741 | 1757.6416 | 2350.7633 | 598.2768 | 11665 | 0 | 0 | 27591.6817 | 105.8% | 26140.6817 | 100.2%
6 | 25 | 8 | 27323 | 31885.941 | 33517.1241 | Y | 26186 | 2280 | 7103 | 1741 | 1757.6416 | 7823.7234 | 458.1752 | 11665 | 0 | 0 | 31691.5402 | 116% | 30240.5402 | 110.7%
6 | 25 | 9 | 34206.244 | 38877.234 | 40547.043 | Y | 26186 | 2280 | 7103 | 1741 | 1757.6416 | 11153.9009 | 344.4232 | 11665 | 0 | 0 | 28024.7217 | 81.93% | 26573.7217 | 77.69%
6 | 25 | 10 | 34117.244 | 38773.371 | 40437.8667 | Y | 26186 | 2280 | 7103 | 1741 | 1757.6416 | 13002.7831 | 268.8595 | 11665 | 0 | 0 | 29887.0402 | 87.6% | 28436.0402 | 83.35%
6 | 25 | 11 | 34261.244 | 38941.419 | 40614.5115 | Y | 26186 | 2280 | 7103 | 1741 | 1757.6416 | 13747.4229 | 354.0244 | 11665 | 0 | 0 | 30572.845 | 89.23% | 29121.845 | 85%
6 | 25 | 12 | 34931.244 | 39723.309 | 41436.4005 | Y | 26186 | 2280 | 7103 | 1741 | 1757.6416 | 14008.4257 | 286.9359 | 11665 | 0 | 0 | 30096.7592 | 86.16% | 28645.7592 | 82.01%
6 | 25 | 13 | 36251.244 | 41263.749 | 43055.6445 | Y | 26186 | 2280 | 7103 | 1741 | 1757.6416 | 14061.1071 | 303.0417 | 11665 | 0 | 0 | 28845.5464 | 79.57% | 27394.5464 | 75.57%
6 | 25 | 14 | 38430.244 | 43806.642 | 45728.6238 | Y | 26186 | 2280 | 7103 | 1741 | 1757.6416 | 13651.3892 | 384.2023 | 11665 | 0 | 0 | 26337.9891 | 68.53% | 24886.9891 | 64.76%
6 | 25 | 15 | 40938.244 | 46733.478 | 48805.1874 | Y | 26186 | 2280 | 7103 | 1741 | 1757.6416 | 13376.1375 | 556.1491 | 11665 | 0 | 0 | 23726.6841 | 57.96% | 22275.6841 | 54.41%
6 | 25 | 16 | 43723.244 | 49983.573 | 52221.5469 | Y | 26186 | 2280 | 7103 | 1741 | 1757.6416 | 12737.8159 | 868.2605 | 11665 | 0 | 0 | 20615.4741 | 47.15% | 19164.4741 | 43.83%
6 | 25 | 17 | 38803 | 45283.101 | 47599.6401 | Y | 26186 | 2280 | 7103 | 1741 | 1757.6416 | 11410.8142 | 1212.3436 | 5500 | 0 | 1412.9438 | 19800.7431 | 51.03% | 18349.7431 | 47.29%
6 | 25 | 18 | 40383 | 47126.961 | 49537.8261 | Y | 26186 | 2280 | 7103 | 1741 | 1757.6416 | 9580.3747 | 1631.4733 | 5500 | 2024.2168 | 1356.2936 | 18777 | 46.5% | 17326 | 42.9%
6 | 25 | 19 | 41047 | 47901.849 | 50352.3549 | Y | 26186 | 2280 | 7103 | 1741 | 1757.6416 | 5652.2275 | 1806.0602 | 5500 | 6514.9177 | 1283.153 | 18777 | 45.75% | 17326 | 42.21%
6 | 25 | 20 | 40264 | 46988.088 | 49391.8488 | Y | 26186 | 2280 | 7103 | 1741 | 1757.6416 | 1274.0083 | 2112.9673 | 5500 | 9857.4218 | 1228.961 | 18777 | 46.63% | 17326 | 43.03%
6 | 25 | 21 | 39184 | 45727.728 | 48067.0128 | Y | 26186 | 2280 | 7103 | 1741 | 1757.6416 | 0 | 2303.6094 | 5500 | 9981.299 | 1091.9361 | 18760.4861 | 47.88% | 17309.4861 | 44.17%
6 | 25 | 22 | 37622 | 43904.874 | 46150.9074 | Y | 26186 | 2280 | 7103 | 1741 | 1757.6416 | 0 | 2454.2586 | 5500 | 9051.5076 | 320.55 | 18771.9578 | 49.9% | 17320.9578 | 46.04%
6 | 25 | 23 | 34804 | 40616.268 | 42694.0668 | Y | 26186 | 2280 | 7103 | 1741 | 1757.6416 | 0 | 2507.7173 | 5500 | 6502.4263 | 0 | 18773.7852 | 53.94% | 17322.7852 | 49.77%
6 | 25 | 24 | 32034 | 37383.678 | 39296.1078 | Y | 26186 | 2280 | 7103 | 1741 | 1757.6416 | 0 | 2422.4639 | 11665 | 0 | 0 | 21121.1055 | 65.93% | 19670.1055 | 61.4%
7 | 23 | 1 | 32177 | 37550.559 | 39471.5259 | Y | 26175 | 2280 | 7310 | 2012 | 1759.5577 | 0 | 2143.903 | 11665 | 0 | 0 | 21168.4607 | 65.79% | 19717.4607 | 61.28%
7 | 23 | 2 | 29355 | 34257.285 | 36009.7785 | Y | 26175 | 2280 | 7310 | 2012 | 1759.5577 | 0 | 2148.0084 | 11665 | 0 | 0 | 23994.5661 | 81.74% | 22543.5661 | 76.8%
7 | 23 | 3 | 27795 | 32436.765 | 34096.1265 | Y | 26175 | 2280 | 7310 | 2012 | 1759.5577 | 0 | 1994.9086 | 11665 | 0 | 0 | 25401.4663 | 91.39% | 23950.4663 | 86.17%
7 | 23 | 4 | 26868 | 31354.956 | 32958.9756 | Y | 26175 | 2280 | 7310 | 2012 | 1759.5577 | 0 | 1943.4206 | 11665 | 0 | 0 | 26276.9782 | 97.8% | 24825.9782 | 92.4%
7 | 23 | 5 | 26670 | 31123.89 | 32716.089 | Y | 26175 | 2280 | 7310 | 2012 | 1759.5577 | 0 | 1651.956 | 11665 | 0 | 0 | 26183.5137 | 98.18% | 24732.5137 | 92.74%
7 | 23 | 6 | 27360 | 31929.12 | 33562.512 | Y | 26175 | 2280 | 7310 | 2012 | 1759.5577 | 0 | 1369.6372 | 11665 | 0 | 0 | 25211.1949 | 92.15% | 23760.1949 | 86.84%
7 | 23 | 7 | 28292 | 33016.764 | 34705.7964 | Y | 26175 | 2280 | 7310 | 2012 | 1759.5577 | 1155.0269 | 1098.7293 | 11665 | 0 | 0 | 25163.3138 | 88.94% | 23712.3138 | 83.81%
7 | 23 | 8 | 36050.053 | 41018.804 | 42795.0581 | Y | 26175 | 2280 | 7310 | 2012 | 1759.5577 | 5922.1184 | 844.3102 | 11665 | 0 | 0 | 21917.9334 | 60.8% | 20466.9334 | 56.77%
7 | 23 | 9 | 36907.053 | 42018.923 | 43846.34 | Y | 26175 | 2280 | 7310 | 2012 | 1759.5577 | 10301.0144 | 503.7894 | 11665 | 0 | 0 | 25099.3085 | 68.01% | 23648.3085 | 64.08%
7 | 23 | 10 | 37443.053 | 42644.435 | 44503.8512 | Y | 26175 | 2280 | 7310 | 2012 | 1759.5577 | 12155.548 | 351.6875 | 11665 | 0 | 0 | 26265.7401 | 70.15% | 24814.7401 | 66.27%
7 | 23 | 11 | 37989.053 | 43281.617 | 45173.6294 | Y | 26175 | 2280 | 7310 | 2012 | 1759.5577 | 13005.135 | 302.1322 | 11665 | 0 | 0 | 26519.7718 | 69.81% | 25068.7718 | 65.99%
7 | 23 | 12 | 39479.053 | 45020.447 | 47001.4124 | Y | 26175 | 2280 | 7310 | 2012 | 1759.5577 | 13272.8602 | 265.8531 | 11665 | 0 | 0 | 25261.2179 | 63.99% | 23810.2179 | 60.31%
7 | 23 | 13 | 41135.053 | 46952.999 | 49032.8276 | Y | 26175 | 2280 | 7310 | 2012 | 1759.5577 | 13285.7363 | 370.585 | 11665 | 0 | 0 | 23722.8259 | 57.67% | 22271.8259 | 54.14%
7 | 23 | 14 | 43836.053 | 50105.066 | 52346.1443 | Y | 26175 | 2280 | 7310 | 2012 | 1759.5577 | 13097.7382 | 457.8847 | 11665 | 0 | 0 | 20921.1276 | 47.73% | 19470.1276 | 44.42%
7 | 23 | 15 | 46761.053 | 53518.541 | 55934.2418 | Y | 26175 | 2280 | 7310 | 2012 | 1759.5577 | 12761.6562 | 667.3359 | 11665 | 0 | 0 | 17869.4968 | 38.21% | 16418.4968 | 35.11%
7 | 23 | 16 | 43190 | 50402.73 | 52981.173 | Y | 26175 | 2280 | 7310 | 2012 | 1759.5577 | 12178.7453 | 1156.4596 | 11665 | 0 | 0 | 21346.7625 | 49.43% | 19895.7625 | 46.07%
7 | 23 | 17 | 44559 | 52000.353 | 54660.5253 | Y | 26175 | 2280 | 7310 | 2012 | 1759.5577 | 11034.0058 | 1622.7572 | 5500 | 1081.6844 | 1433.9949 | 15650 | 35.12% | 14199 | 31.87%
7 | 23 | 18 | 45568 | 53177.856 | 55898.2656 | Y | 26175 | 2280 | 7310 | 2012 | 1759.5577 | 8942 | 1986.0536 | 5500 | 3894.3847 | 1359.004 | 15650 | 34.34% | 14199 | 31.16%
7 | 23 | 19 | 45434 | 53021.478 | 55733.8878 | Y | 26175 | 2280 | 7310 | 2012 | 1759.5577 | 5077.066 | 2032.2788 | 5500 | 7666.7475 | 1271.35 | 15650 | 34.45% | 14199 | 31.25%
7 | 23 | 20 | 43726 | 51028.242 | 53638.6842 | Y | 26175 | 2280 | 7310 | 2012 | 1759.5577 | 941.6488 | 2275.7938 | 5500 | 9915.6684 | 1206.3314 | 15650 | 35.79% | 14199 | 32.47%
7 | 23 | 21 | 41826 | 48810.942 | 51307.9542 | Y | 26175 | 2280 | 7310 | 2012 | 1759.5577 | 0 | 2527.5874 | 5500 | 8857.7222 | 1046.0111 | 15641.8784 | 37.4% | 14190.8784 | 33.93%
7 | 23 | 22 | 40143 | 46846.881 | 49243.4181 | Y | 26175 | 2280 | 7310 | 2012 | 1759.5577 | 0 | 2627.8692 | 5500 | 7798.3163 | 325.57 | 15645.3132 | 38.97% | 14194.3132 | 35.36%
7 | 23 | 23 | 37058 | 43246.686 | 45459.0486 | Y | 26175 | 2280 | 7310 | 2012 | 1759.5577 | 0 | 2542.8469 | 5500 | 5122.7919 | 0 | 15644.1964 | 42.22% | 14193.1964 | 38.3%
7 | 23 | 24 | 34187 | 39896.229 | 41937.1929 | Y | 26175 | 2280 | 7310 | 2012 | 1759.5577 | 0 | 2446.2247 | 11665 | 0 | 0 | 19460.7824 | 56.92% | 18009.7824 | 52.68%
8 | 13 | 1 | 31854 | 37173.618 | 39075.3018 | Y | 26176 | 2280 | 7377 | 1437 | 1750.5488 | 0 | 1745.4914 | 11665 | 0 | 0 | 20577.0402 | 64.6% | 19126.0402 | 60.04%
8 | 13 | 2 | 29219 | 34098.573 | 35842.9473 | Y | 26176 | 2280 | 7377 | 1437 | 1750.5488 | 0 | 1704.7642 | 11665 | 0 | 0 | 23171.313 | 79.3% | 21720.313 | 74.34%
8 | 13 | 3 | 27684 | 32307.228 | 33959.9628 | Y | 26176 | 2280 | 7377 | 1437 | 1750.5488 | 0 | 1455.0927 | 11665 | 0 | 0 | 24456.6415 | 88.34% | 23005.6415 | 83.1%
8 | 13 | 4 | 26703 | 31162.401 | 32756.5701 | Y | 26176 | 2280 | 7377 | 1437 | 1750.5488 | 0 | 1262.5179 | 11665 | 0 | 0 | 25245.0667 | 94.54% | 23794.0667 | 89.11%
8 | 13 | 5 | 26572 | 31009.524 | 32595.8724 | Y | 26176 | 2280 | 7377 | 1437 | 1750.5488 | 0 | 1071.0925 | 11665 | 0 | 0 | 25184.6414 | 94.78% | 23733.6414 | 89.32%
8 | 13 | 6 | 27405 | 31981.635 | 33617.7135 | Y | 26176 | 2280 | 7377 | 1437 | 1750.5488 | 0 | 971.7087 | 11665 | 0 | 0 | 24252.2576 | 88.5% | 22801.2576 | 83.2%
8 | 13 | 7 | 28639 | 33421.713 | 35131.4613 | Y | 26176 | 2280 | 7377 | 1437 | 1750.5488 | 383.8979 | 742.0416 | 11665 | 0 | 0 | 23172.4883 | 80.91% | 21721.4883 | 75.85%
8 | 13 | 8 | 35945.823 | 40891.194 | 42659.0901 | Y | 26176 | 2280 | 7377 | 1437 | 1750.5488 | 4157.3117 | 547.534 | 11665 | 0 | 0 | 19444.5715 | 54.09% | 17993.5715 | 50.06%
8 | 13 | 9 | 36503.823 | 41542.38 | 43343.5887 | Y | 26176 | 2280 | 7377 | 1437 | 1750.5488 | 8821.2589 | 349.8306 | 11665 | 0 | 0 | 23352.8154 | 63.97% | 21901.8154 | 60%
8 | 13 | 10 | 36832.823 | 41926.323 | 43747.173 | Y | 26176 | 2280 | 7377 | 1437 | 1750.5488 | 11288.2626 | 329.5364 | 11665 | 0 | 0 | 25470.5249 | 69.15% | 24019.5249 | 65.21%
8 | 13 | 11 | 37425.823 | 42618.354 | 44474.6061 | Y | 26176 | 2280 | 7377 | 1437 | 1750.5488 | 12502.2895 | 250.2147 | 11665 | 0 | 0 | 26012.23 | 69.5% | 24561.23 | 65.63%
8 | 13 | 12 | 38832.823 | 44260.323 | 46200.573 | Y | 26176 | 2280 | 7377 | 1437 | 1750.5488 | 13031.2933 | 199.4972 | 11665 | 0 | 0 | 25083.5163 | 64.59% | 23632.5163 | 60.86%
8 | 13 | 13 | 40675.823 | 46411.104 | 48461.3811 | Y | 26176 | 2280 | 7377 | 1437 | 1750.5488 | 13281.3202 | 244.7829 | 11665 | 0 | 0 | 23535.8289 | 57.86% | 22084.8289 | 54.29%
8 | 13 | 14 | 43559.823 | 49776.732 | 51999.1839 | Y | 26176 | 2280 | 7377 | 1437 | 1750.5488 | 12771.7236 | 283.8789 | 11665 | 0 | 0 | 20181.3284 | 46.33% | 18730.3284 | 43%
8 | 13 | 15 | 46218.823 | 52879.785 | 55260.9792 | Y | 26176 | 2280 | 7377 | 1437 | 1750.5488 | 12408.7727 | 321.6486 | 11665 | 0 | 0 | 17197.1471 | 37.21% | 15746.1471 | 34.07%
8 | 13 | 16 | 42210 | 49259.07 | 51779.007 | Y | 26176 | 2280 | 7377 | 1437 | 1750.5488 | 11316.6374 | 424.3089 | 11665 | 0 | 0 | 20216.4951 | 47.9% | 18765.4951 | 44.46%
8 | 13 | 17 | 43556 | 50829.852 | 53430.1452 | Y | 26176 | 2280 | 7377 | 1437 | 1750.5488 | 9815.4612 | 751.1745 | 5500 | 1012.1857 | 1411.6297 | 13955 | 32.04% | 12504 | 28.71%
8 | 13 | 18 | 44885 | 52380.795 | 55060.4295 | Y | 26176 | 2280 | 7377 | 1437 | 1750.5488 | 6830.9255 | 1082.8024 | 5500 | 5070.5543 | 1335.1689 | 13955 | 31.09% | 12504 | 27.86%
8 | 13 | 19 | 44896 | 52393.632 | 55073.9232 | Y | 26176 | 2280 | 7377 | 1437 | 1750.5488 | 2468.3404 | 1435.1089 | 5500 | 9177.3619 | 1249.6401 | 13955 | 31.08% | 12504 | 27.85%
8 | 13 | 20 | 43425 | 50676.975 | 53269.4475 | Y | 26176 | 2280 | 7377 | 1437 | 1750.5488 | 131.8604 | 1594.8279 | 5500 | 9943.2055 | 1189.5574 | 13955 | 32.14% | 12504 | 28.79%
8 | 13 | 21 | 41537 | 48473.679 | 50953.4379 | Y | 26176 | 2280 | 7377 | 1437 | 1750.5488 | 0 | 1750.8711 | 5500 | 8191.6874 | 1022.2262 | 13948.3335 | 33.58% | 12497.3335 | 30.09%
8 | 13 | 22 | 39628 | 46245.876 | 48611.6676 | Y | 26176 | 2280 | 7377 | 1437 | 1750.5488 | 0 | 1897.3264 | 5500 | 6869.2659 | 289.7 | 13948.8411 | 35.2% | 12497.8411 | 31.54%
8 | 13 | 23 | 36518 | 42616.506 | 44796.6306 | Y | 26176 | 2280 | 7377 | 1437 | 1750.5488 | 0 | 1688.4058 | 5500 | 4258.4787 | 0 | 13949.4333 | 38.2% | 12498.4333 | 34.23%
8 | 13 | 24 | 33651 | 39270.717 | 41279.6817 | Y | 26176 | 2280 | 7377 | 1437 | 1750.5488 | 0 | 1638.5851 | 11665 | 0 | 0 | 18673.134 | 55.49% | 17222.134 | 51.18%
9 | 3 | 1 | 31938 | 37271.646 | 39178.3446 | Y | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 0 | 742.4458 | 11665 | 0 | 0 | 19389.0787 | 60.71% | 17938.0787 | 56.17%
9 | 3 | 2 | 29021 | 33867.507 | 35600.0607 | Y | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 0 | 725.1147 | 11665 | 0 | 0 | 22288.7476 | 76.8% | 20837.7476 | 71.8%
9 | 3 | 3 | 27505 | 32098.335 | 33740.3835 | Y | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 0 | 719.5819 | 11665 | 0 | 0 | 23799.2147 | 86.53% | 22348.2147 | 81.25%
9 | 3 | 4 | 26546 | 30979.182 | 32563.9782 | Y | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 0 | 591.8597 | 11665 | 0 | 0 | 24630.4926 | 92.78% | 23179.4926 | 87.32%
9 | 3 | 5 | 26324 | 30720.108 | 32291.6508 | Y | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 0 | 356.993 | 11665 | 0 | 0 | 24617.6258 | 93.52% | 23166.6258 | 88.01%
9 | 3 | 6 | 27208 | 31751.736 | 33376.0536 | Y | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 0 | 328.293 | 11665 | 0 | 0 | 23704.9259 | 87.12% | 22253.9259 | 81.79%
9 | 3 | 7 | 28924 | 33754.308 | 35481.0708 | Y | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 155.3087 | 330.9584 | 11665 | 0 | 0 | 22146.8999 | 76.57% | 20695.8999 | 71.55%
9 | 3 | 8 | 36461.823 | 41493.366 | 43292.0673 | Y | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 3417.637 | 323.6146 | 11665 | 0 | 0 | 17864.0614 | 48.99% | 16413.0614 | 45.01%
9 | 3 | 9 | 37320.823 | 42495.819 | 44345.8026 | Y | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 8622.7873 | 277.9924 | 11665 | 0 | 0 | 22164.5896 | 59.39% | 20713.5896 | 55.5%
9 | 3 | 10 | 38298.823 | 43637.145 | 45545.5152 | Y | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 11304.5566 | 205.7626 | 11665 | 0 | 0 | 23796.1291 | 62.13% | 22345.1291 | 58.34%
9 | 3 | 11 | 39046.823 | 44510.061 | 46463.0868 | Y | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 12390.1945 | 221.5905 | 11665 | 0 | 0 | 24149.5949 | 61.85% | 22698.5949 | 58.13%
9 | 3 | 12 | 40273.823 | 45941.97 | 47968.2477 | Y | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 12923.9867 | 199.8635 | 11665 | 0 | 0 | 23434.66 | 58.19% | 21983.66 | 54.59%
9 | 3 | 13 | 42191.823 | 48180.276 | 50321.0583 | Y | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 13035.8448 | 216.3862 | 11665 | 0 | 0 | 21645.0408 | 51.3% | 20194.0408 | 47.86%
9 | 3 | 14 | 44830.823 | 51259.989 | 53558.3196 | Y | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 12592.8672 | 311.6441 | 11665 | 0 | 0 | 18658.3211 | 41.62% | 17207.3211 | 38.38%
9 | 3 | 15 | 47483.823 | 54356.04 | 56812.7547 | Y | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 12166.7659 | 316.5585 | 11665 | 0 | 0 | 15584.1343 | 32.82% | 14133.1343 | 29.76%
9 | 3 | 16 | 44374 | 51784.458 | 54433.5858 | Y | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 11529.8623 | 324.314 | 11665 | 0 | 0 | 18064.8091 | 40.71% | 16613.8091 | 37.44%
9 | 3 | 17 | 45351 | 52924.617 | 55632.0717 | Y | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 8779.1616 | 396.1921 | 5500 | 2264.0127 | 1392.0007 | 11900 | 26.24% | 10449 | 23.04%
9 | 3 | 18 | 46094 | 53791.698 | 56543.5098 | Y | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 5405.9231 | 535.6221 | 5500 | 6312.9817 | 1319.8403 | 11900 | 25.82% | 10449 | 22.67%
9 | 3 | 19 | 45913 | 53580.471 | 56321.4771 | Y | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 1148.5296 | 785.4704 | 5500 | 10219.5393 | 1239.8278 | 11900 | 25.92% | 10449 | 22.76%
9 | 3 | 20 | 44356 | 51763.452 | 54411.5052 | Y | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 0 | 905.1207 | 5500 | 9740.8013 | 1177.6537 | 11887.2085 | 26.8% | 10436.2085 | 23.53%
9 | 3 | 21 | 42013 | 49029.171 | 51537.3471 | Y | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 0 | 1081.6276 | 5500 | 7382.4506 | 1023.9422 | 11894.6533 | 28.31% | 10443.6533 | 24.86%
9 | 3 | 22 | 39765 | 46405.755 | 48779.7255 | Y | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 0 | 1164.0641 | 5500 | 5789.963 | 287.33 | 11895.99 | 29.92% | 10444.99 | 26.27%
9 | 3 | 23 | 36490 | 42583.83 | 44762.283 | Y | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 0 | 1096.5839 | 5500 | 2869.8916 | 0 | 11896.1084 | 32.6% | 10445.1084 | 28.62%
9 | 3 | 24 | 33712 | 39341.904 | 41354.5104 | Y | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 0 | 1058.7258 | 11665 | 0 | 0 | 17931.3587 | 53.19% | 16480.3587 | 48.89%

## Sheet3 (hidden)
MONTH | 9
Charging Load (Y/N) | Y
Row Labels | 2024 IEPR Forecast | Forecast + 16.7% PRM | Forecast + 22.67% PRM | Natural Gas | Nuclear | Hydro | Other | Other Renewables | Solar | Wind | Imports | Battery Storage | Demand Response
1 | 31938 | 37271.646 | 39178.3446 | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 0 | 742.4458 | 11665 | 0 | 0
2 | 29021 | 33867.507 | 35600.0607 | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 0 | 725.1147 | 11665 | 0 | 0
3 | 27505 | 32098.335 | 33740.3835 | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 0 | 719.5819 | 11665 | 0 | 0
4 | 26546 | 30979.182 | 32563.9782 | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 0 | 591.8597 | 11665 | 0 | 0
5 | 26324 | 30720.108 | 32291.6508 | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 0 | 356.993 | 11665 | 0 | 0
6 | 27208 | 31751.736 | 33376.0536 | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 0 | 328.293 | 11665 | 0 | 0
7 | 28924 | 33754.308 | 35481.0708 | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 155.3087 | 330.9584 | 11665 | 0 | 0
8 | 36461.823 | 41493.366 | 43292.0673 | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 3417.637 | 323.6146 | 11665 | 0 | 0
9 | 37320.823 | 42495.819 | 44345.8026 | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 8622.7873 | 277.9924 | 11665 | 0 | 0
10 | 38298.823 | 43637.145 | 45545.5152 | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 11304.5566 | 205.7626 | 11665 | 0 | 0
11 | 39046.823 | 44510.061 | 46463.0868 | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 12390.1945 | 221.5905 | 11665 | 0 | 0
12 | 40273.823 | 45941.97 | 47968.2477 | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 12923.9867 | 199.8635 | 11665 | 0 | 0
13 | 42191.823 | 48180.276 | 50321.0583 | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 13035.8448 | 216.3862 | 11665 | 0 | 0
14 | 44830.823 | 51259.989 | 53558.3196 | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 12592.8672 | 311.6441 | 11665 | 0 | 0
15 | 47483.823 | 54356.04 | 56812.7547 | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 12166.7659 | 316.5585 | 11665 | 0 | 0
16 | 44374 | 51784.458 | 54433.5858 | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 11529.8623 | 324.314 | 11665 | 0 | 0
17 | 45351 | 52924.617 | 55632.0717 | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 8779.1616 | 396.1921 | 5500 | 2264.0127 | 1392.0007
18 | 46094 | 53791.698 | 56543.5098 | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 5405.9231 | 535.6221 | 5500 | 6312.9817 | 1319.8403
19 | 45913 | 53580.471 | 56321.4771 | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 1148.5296 | 785.4704 | 5500 | 10219.5393 | 1239.8278
20 | 44356 | 51763.452 | 54411.5052 | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 0 | 905.1207 | 5500 | 9740.8013 | 1177.6537
21 | 42013 | 49029.171 | 51537.3471 | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 0 | 1081.6276 | 5500 | 7382.4506 | 1023.9422
22 | 39765 | 46405.755 | 48779.7255 | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 0 | 1164.0641 | 5500 | 5789.963 | 287.33
23 | 36490 | 42583.83 | 44762.283 | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 0 | 1096.5839 | 5500 | 2869.8916 | 0
24 | 33712 | 39341.904 | 41354.5104 | 26188 | 2280 | 7014 | 1682 | 1755.6329 | 0 | 1058.7258 | 11665 | 0 | 0
Grand Total | 901442.584 | 1043522.844 | 1094314.41 | 628512 | 54720 | 168336 | 40368 | 42135.1887 | 113473.4252 | 13216.3796 | 236805 | 44579.6402 | 6440.5947