## KEY
Average Emissions Rate Calculation
Background:
The CAISO is publishing this metric of an average emissions rate (AER) based on the discussion in the GHG working groups. CAISO discussed the metric at the November 27, 2023 GHG Coordination Working Group. A brief explanation of the methodology is included below:
Methodology:
1) Which resources are reflected in this example AER metric (all schedules are from the 5-minute market)
- All supply resources are included
- All demand response resources are excluded
- All energy storage resources are included (emissions rate used is 0 MTCO2e/MWh)
- Resources that were attributed to serve California are included
2) The AER measures all schedules ie. The total dispatach of the resources and not relative to WEIM base schedule
3) Bilateral transactions are included (emissions rate used is 0.428 MTCO2e/MWh) unless they are resource specific.
4) CAISO filled in missing heat rate and emissions rate data by using wtd averages from existing data
Key
TRADE_DT | Trade date of the reported data in MM/DD/YYYY format
TRADE_HR | Trade hour of the reported data. Data is reported as the "hour-ending", e.g. TRADE_HR = 2 is for the hour-ending 1:59:59AM Pacific time
GEN_MWH | MWh of electricity generation in the WEIM area* (including CAISO)
IMP_MWH | MWh of electricity imports into the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
EXP_MWH | MWh of electricity exports from the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
GEN_GHG | Greenhouse gas emissions in MTCO2e of electricity generation in the WEIM area
IMP_GHG | Greenhouse gas emissions in MTCO2e of electricity imports into the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
EXP_GHG | Greenhouse gas emissions in MTCO2e of electricity exports from the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
AVG_EM_RATE | Average emissions rate calculated as columns G through I divided by columns C through E
ATTR_MWH | MWh of WEIM transfers into California which, by definition, is equal to the sum of the GHG attributions
ATTR_GHG | Greenhouse gas emissions in MTCO2e of WEIM transfers into California (resource-specific)
ATTR_AVG_EM_RATE | Average emissions rate of WEIM transfers into California
CAISO PUBLIC

## AER_SUMMARY
TRADE_DT | TRADE_HR | GEN_MWH | IMP_MWH | EXP_MWH | GEN_GHG | IMP_GHG | EXP_GHG | AVG_EM_RATE | ATTR_MWH | ATTR_GHG | ATTR_AVG_EM_RATE
2024-01-01 | 1 | 67844 | 11445 | -8626 | 23619 | 4898 | -3692 | 0.35132 | 579 | 0 | 0
2024-01-01 | 2 | 66199 | 11307 | -8418 | 23388 | 4839 | -3603 | 0.35642 | 832 | 0 | 0
2024-01-01 | 3 | 65164 | 11092 | -8254 | 23268 | 4747 | -3533 | 0.36002 | 722 | 0 | 0
2024-01-01 | 4 | 64758 | 11231 | -8329 | 23192 | 4807 | -3565 | 0.36113 | 552 | 0 | 0
2024-01-01 | 5 | 65425 | 11451 | -8454 | 23328 | 4901 | -3618 | 0.35969 | 407 | 0 | 0
2024-01-01 | 6 | 67386 | 12006 | -8759 | 23352 | 5138 | -3749 | 0.35028 | 466 | 0 | 0
2024-01-01 | 7 | 69194 | 12556 | -9128 | 23279 | 5374 | -3907 | 0.34075 | 692 | 0 | 0
2024-01-01 | 8 | 70393 | 12319 | -8945 | 22674 | 5272 | -3828 | 0.32695 | 721 | 0 | 0
2024-01-01 | 9 | 71013 | 11735 | -8629 | 20822 | 5022 | -3693 | 0.29886 | 155 | 0 | 0
2024-01-01 | 10 | 70378 | 10816 | -8081 | 19483 | 4629 | -3459 | 0.28248 | 11 | 0 | 0
2024-01-01 | 11 | 68604 | 11385 | -8422 | 18264 | 4873 | -3605 | 0.27292 | 0 | 0 | 0
2024-01-01 | 12 | 67201 | 11375 | -8559 | 17557 | 4868 | -3663 | 0.26796 | 0 | 0 | 0
2024-01-01 | 13 | 66593 | 11280 | -8651 | 17057 | 4828 | -3703 | 0.26266 | 0 | 0 | 0
2024-01-01 | 14 | 66389 | 10942 | -8497 | 16620 | 4683 | -3637 | 0.25665 | 0 | 0 | 0
2024-01-01 | 15 | 68298 | 10772 | -8618 | 16949 | 4610 | -3688 | 0.25366 | 0 | 0 | 0
2024-01-01 | 16 | 72015 | 10807 | -8772 | 19584 | 4625 | -3755 | 0.27622 | 0 | 0 | 0
2024-01-01 | 17 | 77727 | 12520 | -9810 | 23272 | 5359 | -4199 | 0.30374 | 23 | 0 | 0
2024-01-01 | 18 | 81873 | 12598 | -9789 | 24596 | 5392 | -4190 | 0.30465 | 24 | 0 | 0
2024-01-01 | 19 | 81558 | 12776 | -9818 | 24849 | 5468 | -4202 | 0.30899 | 67 | 0 | 0
2024-01-01 | 20 | 79939 | 13096 | -9871 | 24914 | 5605 | -4225 | 0.31617 | 88 | 0 | 0
2024-01-01 | 21 | 77933 | 13288 | -9787 | 24978 | 5687 | -4189 | 0.32512 | 436 | 0 | 0
2024-01-01 | 22 | 75290 | 13308 | -9762 | 25037 | 5696 | -4178 | 0.33684 | 384 | 0 | 0
2024-01-01 | 23 | 71834 | 12414 | -9168 | 24782 | 5313 | -3924 | 0.34857 | 124 | 0 | 0
2024-01-01 | 24 | 67827 | 12551 | -9063 | 24111 | 5372 | -3879 | 0.35903 | 393 | 0 | 0
2024-01-02 | 1 | 66080 | 11545 | -8424 | 23619 | 4941 | -3606 | 0.3606 | 97 | 0 | 0
2024-01-02 | 2 | 64680 | 11707 | -8555 | 23387 | 5010 | -3662 | 0.36465 | 0 | 0 | 0
2024-01-02 | 3 | 64277 | 12023 | -8824 | 23218 | 5146 | -3777 | 0.36438 | 2 | 0 | 0
2024-01-02 | 4 | 65057 | 11728 | -8629 | 23379 | 5020 | -3693 | 0.36249 | 0 | 0 | 0
2024-01-02 | 5 | 67464 | 11757 | -8581 | 23761 | 5032 | -3673 | 0.35561 | 0 | 0 | 0
2024-01-02 | 6 | 73231 | 12275 | -9381 | 24108 | 5254 | -4015 | 0.33297 | 326 | 0 | 0
2024-01-02 | 7 | 78946 | 12083 | -9188 | 24363 | 5171 | -3932 | 0.31283 | 164 | 0 | 0
2024-01-02 | 8 | 81450 | 11692 | -8857 | 24000 | 5004 | -3791 | 0.29914 | 563 | 0 | 0
2024-01-02 | 9 | 81881 | 10677 | -8526 | 21784 | 4570 | -3649 | 0.27019 | 399 | 0 | 0
2024-01-02 | 10 | 80709 | 10699 | -8812 | 20473 | 4579 | -3772 | 0.25764 | 0 | 0 | 0
2024-01-02 | 11 | 79379 | 10923 | -9113 | 20284 | 4675 | -3900 | 0.25938 | 0 | 0 | 0
2024-01-02 | 12 | 78059 | 11086 | -9384 | 19693 | 4745 | -4016 | 0.25604 | 0 | 0 | 0
2024-01-02 | 13 | 77264 | 11341 | -9558 | 19156 | 4854 | -4091 | 0.25199 | 0 | 0 | 0
2024-01-02 | 14 | 77316 | 11226 | -9299 | 19296 | 4805 | -3980 | 0.25392 | 0 | 0 | 0
2024-01-02 | 15 | 78595 | 11490 | -9622 | 20261 | 4918 | -4118 | 0.26175 | 180 | 0 | 0
2024-01-02 | 16 | 81238 | 10596 | -8548 | 22209 | 4535 | -3659 | 0.27718 | 481 | 0 | 0
2024-01-02 | 17 | 85296 | 11637 | -9325 | 24579 | 4981 | -3991 | 0.29186 | 355 | 0 | 0
2024-01-02 | 18 | 88834 | 11771 | -9272 | 25144 | 5038 | -3968 | 0.28702 | 546 | 0 | 0
2024-01-02 | 19 | 87682 | 11628 | -9067 | 25273 | 4977 | -3881 | 0.2922 | 553 | 0 | 0
2024-01-02 | 20 | 85821 | 11632 | -8994 | 25266 | 4978 | -3850 | 0.29838 | 744 | 44 | 0.05914
2024-01-02 | 21 | 82867 | 11508 | -8499 | 25475 | 4925 | -3638 | 0.31164 | 967 | 173 | 0.1789
2024-01-02 | 22 | 79425 | 11235 | -8075 | 25443 | 4809 | -3456 | 0.32447 | 1556 | 490 | 0.31491
2024-01-02 | 23 | 75746 | 11437 | -8502 | 24971 | 4895 | -3639 | 0.33333 | 747 | 139 | 0.18608
2024-01-02 | 24 | 71891 | 10916 | -8369 | 24120 | 4672 | -3582 | 0.33867 | 433 | 9 | 0.020785
2024-01-03 | 1 | 69052 | 10008 | -7296 | 23486 | 4284 | -3123 | 0.34345 | 172 | 0 | 0
2024-01-03 | 2 | 67640 | 9705 | -7197 | 23257 | 4154 | -3080 | 0.34685 | 93 | 0 | 0
2024-01-03 | 3 | 67010 | 9569 | -7182 | 23220 | 4095 | -3074 | 0.34931 | 30 | 0 | 0
2024-01-03 | 4 | 67435 | 10023 | -7622 | 23153 | 4290 | -3262 | 0.34625 | 0 | 0 | 0
2024-01-03 | 5 | 69953 | 10134 | -7919 | 23339 | 4337 | -3389 | 0.33653 | 0 | 0 | 0
2024-01-03 | 6 | 74939 | 10265 | -8296 | 23653 | 4394 | -3551 | 0.31851 | 0 | 0 | 0
2024-01-03 | 7 | 79495 | 10931 | -8563 | 24024 | 4678 | -3665 | 0.30584 | 71 | 0 | 0
2024-01-03 | 8 | 82609 | 11304 | -8853 | 24178 | 4838 | -3789 | 0.29658 | 360 | 0 | 0
2024-01-03 | 9 | 83154 | 10956 | -8791 | 23049 | 4689 | -3762 | 0.28102 | 92 | 0 | 0
2024-01-03 | 10 | 82278 | 10497 | -8667 | 21962 | 4493 | -3710 | 0.27043 | 0 | 0 | 0
2024-01-03 | 11 | 80232 | 10542 | -8827 | 21464 | 4512 | -3778 | 0.27088 | 0 | 0 | 0
2024-01-03 | 12 | 78566 | 10695 | -8983 | 21415 | 4577 | -3845 | 0.27588 | 0 | 0 | 0
2024-01-03 | 13 | 77871 | 10425 | -8602 | 21607 | 4462 | -3682 | 0.28091 | 0 | 0 | 0
2024-01-03 | 14 | 77706 | 10492 | -8648 | 21677 | 4491 | -3701 | 0.28243 | 0 | 0 | 0
2024-01-03 | 15 | 78963 | 10993 | -8983 | 22218 | 4705 | -3845 | 0.28501 | 0 | 0 | 0
2024-01-03 | 16 | 74312 | 10217 | -8022 | 21186 | 4373 | -3433 | 0.2892 | 0 | 0 | 0
2024-01-03 | 17 | 84887 | 11705 | -9217 | 24509 | 5010 | -3945 | 0.29269 | 367 | 0 | 0
2024-01-03 | 18 | 89034 | 12049 | -9796 | 25243 | 5157 | -4193 | 0.28708 | 790 | 54 | 0.068354
2024-01-03 | 19 | 88057 | 11563 | -9141 | 25334 | 4949 | -3912 | 0.29146 | 698 | 9 | 0.012894
2024-01-03 | 20 | 86343 | 11979 | -9285 | 25028 | 5127 | -3974 | 0.29405 | 963 | 68 | 0.070613
2024-01-03 | 21 | 83321 | 11954 | -8699 | 25226 | 5116 | -3723 | 0.30746 | 697 | 61 | 0.087518
2024-01-03 | 22 | 79586 | 11743 | -8137 | 24733 | 5026 | -3482 | 0.31586 | 757 | 50 | 0.06605
2024-01-03 | 23 | 75302 | 11641 | -8195 | 24028 | 4982 | -3507 | 0.32386 | 389 | 0 | 0
2024-01-03 | 24 | 70859 | 11517 | -7890 | 23517 | 4929 | -3377 | 0.33656 | 0 | 0 | 0
2024-01-04 | 1 | 68737 | 11332 | -8241 | 22914 | 4850 | -3527 | 0.33743 | 0 | 0 | 0
2024-01-04 | 2 | 67702 | 10876 | -8420 | 22448 | 4655 | -3604 | 0.33494 | 24 | 0 | 0
2024-01-04 | 3 | 67101 | 10649 | -8477 | 22322 | 4558 | -3628 | 0.33566 | 6 | 0 | 0
2024-01-04 | 4 | 67346 | 10956 | -8541 | 22394 | 4689 | -3656 | 0.33582 | 0 | 0 | 0
2024-01-04 | 5 | 69844 | 10970 | -8677 | 22977 | 4695 | -3714 | 0.33212 | 0 | 0 | 0
2024-01-04 | 6 | 74987 | 11149 | -8738 | 23628 | 4772 | -3740 | 0.31861 | 97 | 0 | 0
2024-01-04 | 7 | 80793 | 11179 | -8649 | 24046 | 4784 | -3702 | 0.30157 | 341 | 0 | 0
2024-01-04 | 8 | 84070 | 10911 | -8731 | 24093 | 4670 | -3737 | 0.29016 | 267 | 4 | 0.014981
2024-01-04 | 9 | 83252 | 10542 | -8489 | 22195 | 4512 | -3633 | 0.27049 | 0 | 0 | 0
2024-01-04 | 10 | 82027 | 10656 | -9023 | 20402 | 4561 | -3862 | 0.25222 | 0 | 0 | 0
2024-01-04 | 11 | 79878 | 10852 | -9345 | 20334 | 4645 | -4000 | 0.25777 | 0 | 0 | 0
2024-01-04 | 12 | 77413 | 11172 | -9414 | 19781 | 4782 | -4029 | 0.25936 | 0 | 0 | 0
2024-01-04 | 13 | 75905 | 11502 | -9614 | 19050 | 4923 | -4115 | 0.25527 | 0 | 0 | 0
2024-01-04 | 14 | 75786 | 11470 | -9904 | 18893 | 4909 | -4239 | 0.25291 | 0 | 0 | 0
2024-01-04 | 15 | 77160 | 11206 | -9868 | 19428 | 4796 | -4224 | 0.25478 | 0 | 0 | 0
2024-01-04 | 16 | 79443 | 10829 | -9337 | 21389 | 4635 | -3996 | 0.27217 | 0 | 0 | 0
2024-01-04 | 17 | 83867 | 12119 | -9960 | 24025 | 5187 | -4263 | 0.29002 | 0 | 0 | 0
2024-01-04 | 18 | 87664 | 13474 | -11198 | 24674 | 5767 | -4793 | 0.28517 | 350 | 0 | 0
2024-01-04 | 19 | 87378 | 14123 | -11602 | 24898 | 6045 | -4965 | 0.28897 | 594 | 0 | 0
2024-01-04 | 20 | 85781 | 14007 | -11350 | 24574 | 5995 | -4858 | 0.29072 | 721 | 15 | 0.020804
2024-01-04 | 21 | 83199 | 14318 | -11418 | 24446 | 6128 | -4887 | 0.29834 | 650 | 0 | 0
2024-01-04 | 22 | 80152 | 14001 | -11078 | 24031 | 5992 | -4742 | 0.30432 | 1009 | 24 | 0.023786
2024-01-04 | 23 | 76792 | 13195 | -10678 | 23871 | 5647 | -4570 | 0.31457 | 670 | 0 | 0
2024-01-04 | 24 | 73435 | 12570 | -10537 | 23244 | 5380 | -4510 | 0.31953 | 639 | 0 | 0
2024-01-05 | 1 | 70831 | 13093 | -11177 | 22124 | 5604 | -4784 | 0.31539 | 239 | 0 | 0
2024-01-05 | 2 | 69407 | 12518 | -10525 | 21971 | 5358 | -4505 | 0.31966 | 112 | 0 | 0
2024-01-05 | 3 | 68755 | 12375 | -10420 | 21945 | 5297 | -4460 | 0.32219 | 0 | 0 | 0
2024-01-05 | 4 | 63532 | 11213 | -9482 | 20472 | 4799 | -4059 | 0.32502 | 0 | 0 | 0
2024-01-05 | 5 | 71541 | 12505 | -10399 | 22488 | 5352 | -4451 | 0.31758 | 0 | 0 | 0
2024-01-05 | 6 | 75889 | 12827 | -10590 | 23178 | 5490 | -4532 | 0.30894 | 0 | 0 | 0
2024-01-05 | 7 | 82126 | 12936 | -11128 | 23811 | 5537 | -4763 | 0.29291 | 0 | 0 | 0
2024-01-05 | 8 | 85815 | 11797 | -10456 | 23470 | 5049 | -4475 | 0.27587 | 419 | 0 | 0
2024-01-05 | 9 | 85401 | 11404 | -10097 | 22243 | 4881 | -4321 | 0.26299 | 839 | 14 | 0.016687
2024-01-05 | 10 | 83101 | 10186 | -9133 | 21008 | 4360 | -3909 | 0.255 | 776 | 16 | 0.020619
2024-01-05 | 11 | 80421 | 10365 | -9217 | 19949 | 4436 | -3945 | 0.25059 | 77 | 0 | 0
2024-01-05 | 12 | 78710 | 10538 | -9473 | 19520 | 4510 | -4054 | 0.2504 | 0 | 0 | 0
2024-01-05 | 13 | 76555 | 10481 | -9413 | 18989 | 4486 | -4029 | 0.25052 | 27 | 0 | 0
2024-01-05 | 14 | 76232 | 10392 | -9413 | 18629 | 4448 | -4029 | 0.2467 | 0 | 0 | 0
2024-01-05 | 15 | 78175 | 10273 | -9775 | 18724 | 4397 | -4184 | 0.24071 | 0 | 0 | 0
2024-01-05 | 16 | 80570 | 10850 | -9838 | 20275 | 4644 | -4211 | 0.25383 | 0 | 0 | 0
2024-01-05 | 17 | 84605 | 12115 | -10671 | 23103 | 5185 | -4567 | 0.27567 | 0 | 0 | 0
2024-01-05 | 18 | 88398 | 12676 | -11258 | 24506 | 5425 | -4818 | 0.2796 | 112 | 0 | 0
2024-01-05 | 19 | 86699 | 12575 | -10979 | 24386 | 5382 | -4699 | 0.28392 | 0 | 0 | 0
2024-01-05 | 20 | 84962 | 12488 | -10604 | 24300 | 5345 | -4538 | 0.2891 | 35 | 0 | 0
2024-01-05 | 21 | 83257 | 12496 | -10168 | 24387 | 5348 | -4352 | 0.29658 | 217 | 0 | 0
2024-01-05 | 22 | 81019 | 12087 | -9673 | 24340 | 5173 | -4140 | 0.30411 | 548 | 0 | 0
2024-01-05 | 23 | 77148 | 11760 | -9432 | 24015 | 5033 | -4037 | 0.3147 | 63 | 0 | 0
2024-01-05 | 24 | 73722 | 11373 | -9020 | 23703 | 4868 | -3861 | 0.32481 | 161 | 0 | 0
2024-01-06 | 1 | 71446 | 11312 | -8981 | 23010 | 4841 | -3844 | 0.3254 | 653 | 0 | 0
2024-01-06 | 2 | 70077 | 10814 | -8794 | 22695 | 4628 | -3764 | 0.32677 | 645 | 0 | 0
2024-01-06 | 3 | 69168 | 11105 | -9197 | 22178 | 4753 | -3936 | 0.32353 | 830 | 20 | 0.024096
2024-01-06 | 4 | 69268 | 12041 | -9935 | 22314 | 5154 | -4252 | 0.32527 | 826 | 2 | 0.0024213
2024-01-06 | 5 | 70360 | 12742 | -10473 | 22440 | 5453 | -4483 | 0.32232 | 711 | 0 | 0
2024-01-06 | 6 | 73177 | 12257 | -10258 | 22452 | 5246 | -4390 | 0.31005 | 821 | 88 | 0.10719
2024-01-06 | 7 | 76262 | 12594 | -10167 | 22447 | 5390 | -4352 | 0.29845 | 1332 | 301 | 0.22598
2024-01-06 | 8 | 77835 | 12595 | -10149 | 21962 | 5391 | -4344 | 0.28661 | 1294 | 252 | 0.19474
2024-01-06 | 9 | 78705 | 11323 | -9684 | 19704 | 4846 | -4145 | 0.25397 | 165 | 0 | 0
2024-01-06 | 10 | 77877 | 11463 | -10099 | 18037 | 4906 | -4322 | 0.23499 | 0 | 0 | 0
2024-01-06 | 11 | 76756 | 11134 | -10114 | 17318 | 4766 | -4329 | 0.22828 | 516 | 0 | 0
2024-01-06 | 12 | 75158 | 12393 | -11309 | 16496 | 5304 | -4840 | 0.22245 | 13 | 0 | 0
2024-01-06 | 13 | 74963 | 12455 | -11520 | 16390 | 5331 | -4931 | 0.22122 | 0 | 0 | 0
2024-01-06 | 14 | 76376 | 11860 | -11431 | 16756 | 5076 | -4892 | 0.22056 | 0 | 0 | 0
2024-01-06 | 15 | 78964 | 11533 | -11641 | 17897 | 4936 | -4983 | 0.22636 | 5 | 0 | 0
2024-01-06 | 16 | 81049 | 11398 | -11306 | 19528 | 4878 | -4839 | 0.24115 | 379 | 0 | 0
2024-01-06 | 17 | 84278 | 11863 | -11268 | 21647 | 5077 | -4823 | 0.25804 | 402 | 0 | 0
2024-01-06 | 18 | 87403 | 11762 | -11075 | 22401 | 5034 | -4740 | 0.25763 | 660 | 0 | 0
2024-01-06 | 19 | 86730 | 11799 | -10939 | 22684 | 5050 | -4682 | 0.26318 | 544 | 23 | 0.042279
2024-01-06 | 20 | 85372 | 11301 | -10321 | 22730 | 4837 | -4417 | 0.26809 | 878 | 59 | 0.067198
2024-01-06 | 21 | 83004 | 11654 | -10167 | 22749 | 4988 | -4351 | 0.27679 | 807 | 67 | 0.083024
2024-01-06 | 22 | 80704 | 11749 | -10127 | 22352 | 5029 | -4334 | 0.27995 | 606 | 12 | 0.019802
2024-01-06 | 23 | 77188 | 11602 | -9947 | 21795 | 4965 | -4257 | 0.28542 | 373 | 0 | 0
2024-01-06 | 24 | 74216 | 11477 | -10084 | 21316 | 4912 | -4316 | 0.28981 | 37 | 0 | 0
2024-01-07 | 1 | 71697 | 11217 | -9476 | 21491 | 4801 | -4056 | 0.30279 | 516 | 4 | 0.0077519
2024-01-07 | 2 | 70216 | 11517 | -9703 | 21134 | 4929 | -4153 | 0.30418 | 541 | 0 | 0
2024-01-07 | 3 | 68831 | 11465 | -9279 | 20982 | 4907 | -3972 | 0.30862 | 446 | 0 | 0
2024-01-07 | 4 | 68839 | 11245 | -9271 | 21060 | 4813 | -3968 | 0.30934 | 51 | 0 | 0
2024-01-07 | 5 | 69633 | 11330 | -9313 | 21117 | 4849 | -3986 | 0.30677 | 87 | 0 | 0
2024-01-07 | 6 | 72055 | 11426 | -9501 | 21563 | 4891 | -4066 | 0.30262 | 66 | 0 | 0
2024-01-07 | 7 | 74729 | 11772 | -9900 | 21647 | 5039 | -4237 | 0.29306 | 278 | 0 | 0
2024-01-07 | 8 | 77381 | 11579 | -9925 | 21365 | 4956 | -4248 | 0.27928 | 251 | 0 | 0
2024-01-07 | 9 | 78595 | 11442 | -10185 | 19835 | 4897 | -4359 | 0.25513 | 0 | 0 | 0
2024-01-07 | 10 | 77901 | 11584 | -10466 | 18352 | 4958 | -4480 | 0.2383 | 0 | 0 | 0
2024-01-07 | 11 | 76286 | 11835 | -10892 | 17893 | 5065 | -4662 | 0.23691 | 0 | 0 | 0
2024-01-07 | 12 | 75053 | 11590 | -10803 | 17587 | 4960 | -4624 | 0.23633 | 0 | 0 | 0
2024-01-07 | 13 | 74037 | 11806 | -11143 | 16809 | 5053 | -4769 | 0.22882 | 0 | 0 | 0
2024-01-07 | 14 | 73599 | 11447 | -10886 | 16195 | 4899 | -4659 | 0.22162 | 0 | 0 | 0
2024-01-07 | 15 | 75456 | 11627 | -11393 | 15843 | 4976 | -4876 | 0.21064 | 0 | 0 | 0
2024-01-07 | 16 | 79163 | 11335 | -11035 | 17825 | 4851 | -4723 | 0.22593 | 0 | 0 | 0
2024-01-07 | 17 | 85467 | 11927 | -11165 | 22139 | 5105 | -4778 | 0.26054 | 15 | 0 | 0
2024-01-07 | 18 | 91059 | 12675 | -11797 | 24247 | 5425 | -5049 | 0.26782 | 667 | 0 | 0
2024-01-07 | 19 | 90201 | 12404 | -11304 | 24286 | 5309 | -4838 | 0.27116 | 742 | 0 | 0
2024-01-07 | 20 | 88968 | 11869 | -10704 | 24600 | 5080 | -4581 | 0.27847 | 483 | 0 | 0
2024-01-07 | 21 | 87163 | 11962 | -10638 | 24923 | 5120 | -4553 | 0.28806 | 130 | 0 | 0
2024-01-07 | 22 | 83856 | 11309 | -10189 | 24918 | 4840 | -4361 | 0.29887 | 161 | 0 | 0
2024-01-07 | 23 | 80346 | 10602 | -9859 | 24671 | 4538 | -4220 | 0.30817 | 373 | 7 | 0.018767
2024-01-07 | 24 | 76378 | 10326 | -9212 | 24297 | 4420 | -3943 | 0.3197 | 628 | 0 | 0
2024-01-08 | 1 | 75287 | 9806 | -8930 | 24252 | 4197 | -3822 | 0.32335 | 752 | 59 | 0.078457
2024-01-08 | 2 | 74415 | 9844 | -9057 | 24315 | 4213 | -3877 | 0.3278 | 769 | 71 | 0.092328
2024-01-08 | 3 | 73706 | 9958 | -9128 | 24478 | 4262 | -3907 | 0.33317 | 850 | 135 | 0.15882
2024-01-08 | 4 | 74304 | 10266 | -8834 | 25019 | 4394 | -3781 | 0.33844 | 492 | 23 | 0.046748
2024-01-08 | 5 | 77527 | 11362 | -9858 | 25919 | 4863 | -4219 | 0.33611 | 130 | 0 | 0
2024-01-08 | 6 | 84114 | 12215 | -11291 | 27009 | 5228 | -4832 | 0.32227 | 506 | 43 | 0.08498
2024-01-08 | 7 | 90987 | 13920 | -12880 | 27835 | 5958 | -5513 | 0.3073 | 1477 | 230 | 0.15572
2024-01-08 | 8 | 94230 | 13519 | -12388 | 27581 | 5786 | -5302 | 0.2943 | 1554 | 405 | 0.26062
2024-01-08 | 9 | 91158 | 13311 | -11862 | 23496 | 5697 | -5077 | 0.26041 | 102 | 0 | 0
2024-01-08 | 10 | 87648 | 13041 | -11557 | 20772 | 5581 | -4947 | 0.24016 | 0 | 0 | 0
2024-01-08 | 11 | 85064 | 13204 | -11678 | 20213 | 5651 | -4998 | 0.24097 | 0 | 0 | 0
2024-01-08 | 12 | 82309 | 13018 | -11417 | 19894 | 5572 | -4886 | 0.24526 | 0 | 0 | 0
2024-01-08 | 13 | 81051 | 13350 | -11875 | 19492 | 5714 | -5082 | 0.24385 | 0 | 0 | 0
2024-01-08 | 14 | 80991 | 13313 | -11907 | 19278 | 5698 | -5096 | 0.24127 | 0 | 0 | 0
2024-01-08 | 15 | 81822 | 13732 | -12368 | 19621 | 5877 | -5293 | 0.24289 | 0 | 0 | 0
2024-01-08 | 16 | 84774 | 13852 | -12227 | 22171 | 5928 | -5233 | 0.26466 | 77 | 0 | 0
2024-01-08 | 17 | 90645 | 13908 | -12098 | 25951 | 5952 | -5178 | 0.28906 | 784 | 80 | 0.10204
2024-01-08 | 18 | 95736 | 15093 | -13546 | 27440 | 6460 | -5798 | 0.28887 | 1528 | 466 | 0.30497
2024-01-08 | 19 | 94940 | 15297 | -13839 | 27857 | 6547 | -5923 | 0.29545 | 1483 | 505 | 0.34053
2024-01-08 | 20 | 92484 | 15027 | -13303 | 27705 | 6431 | -5694 | 0.30191 | 1900 | 627 | 0.33
2024-01-08 | 21 | 89825 | 14800 | -12823 | 27438 | 6335 | -5488 | 0.30811 | 2028 | 703 | 0.34665
2024-01-08 | 22 | 86189 | 13691 | -11748 | 26592 | 5860 | -5028 | 0.31117 | 2069 | 691 | 0.33398
2024-01-08 | 23 | 81932 | 11379 | -9945 | 25277 | 4870 | -4257 | 0.31056 | 1241 | 272 | 0.21918
2024-01-08 | 24 | 77422 | 11035 | -9557 | 23864 | 4723 | -4090 | 0.31048 | 826 | 67 | 0.081114
2024-01-09 | 1 | 75230 | 11740 | -9980 | 23094 | 5025 | -4271 | 0.30975 | 987 | 0 | 0
2024-01-09 | 2 | 74036 | 11861 | -10213 | 22520 | 5076 | -4371 | 0.30687 | 799 | 15 | 0.018773
2024-01-09 | 3 | 73428 | 11794 | -10150 | 22627 | 5048 | -4344 | 0.31078 | 666 | 4 | 0.006006
2024-01-09 | 4 | 74141 | 12426 | -11272 | 22777 | 5318 | -4825 | 0.30905 | 385 | 0 | 0
2024-01-09 | 5 | 77206 | 13601 | -12431 | 23564 | 5821 | -5320 | 0.30705 | 11 | 0 | 0
2024-01-09 | 6 | 82967 | 14498 | -13289 | 24461 | 6205 | -5688 | 0.29674 | 0 | 0 | 0
2024-01-09 | 7 | 90030 | 15167 | -13865 | 25262 | 6491 | -5934 | 0.28269 | 0 | 0 | 0
2024-01-09 | 8 | 92521 | 13055 | -11979 | 24944 | 5587 | -5127 | 0.27142 | 21 | 0 | 0
2024-01-09 | 9 | 90307 | 12403 | -11671 | 21594 | 5308 | -4995 | 0.24063 | 0 | 0 | 0
2024-01-09 | 10 | 87798 | 12224 | -11654 | 19604 | 5232 | -4988 | 0.22461 | 0 | 0 | 0
2024-01-09 | 11 | 84840 | 12771 | -11982 | 18520 | 5466 | -5128 | 0.22023 | 0 | 0 | 0
2024-01-09 | 12 | 82478 | 13681 | -12819 | 17849 | 5856 | -5487 | 0.2186 | 0 | 0 | 0
2024-01-09 | 13 | 80369 | 13028 | -12109 | 16940 | 5576 | -5182 | 0.21324 | 0 | 0 | 0
2024-01-09 | 14 | 79928 | 12329 | -11774 | 16857 | 5277 | -5039 | 0.21241 | 0 | 0 | 0
2024-01-09 | 15 | 81735 | 12337 | -11565 | 17825 | 5280 | -4950 | 0.22004 | 0 | 0 | 0
2024-01-09 | 16 | 84510 | 12291 | -11596 | 19701 | 5260 | -4963 | 0.2347 | 0 | 0 | 0
2024-01-09 | 17 | 89441 | 13131 | -11868 | 23076 | 5620 | -5080 | 0.26036 | 0 | 0 | 0
2024-01-09 | 18 | 93394 | 14470 | -13009 | 24546 | 6193 | -5568 | 0.26536 | 0 | 0 | 0
2024-01-09 | 19 | 92928 | 14297 | -12860 | 24558 | 6119 | -5504 | 0.26676 | 139 | 0 | 0
2024-01-09 | 20 | 91950 | 13418 | -12197 | 24392 | 5743 | -5220 | 0.26741 | 139 | 0 | 0
2024-01-09 | 21 | 89853 | 12920 | -11698 | 24083 | 5530 | -5007 | 0.27017 | 0 | 0 | 0
2024-01-09 | 22 | 86474 | 11964 | -10857 | 23763 | 5121 | -4647 | 0.27674 | 239 | 0 | 0
2024-01-09 | 23 | 81251 | 11088 | -9502 | 22808 | 4746 | -4067 | 0.28353 | 53 | 0 | 0
2024-01-09 | 24 | 77737 | 10443 | -9096 | 22217 | 4469 | -3893 | 0.28821 | 163 | 0 | 0
2024-01-10 | 1 | 75595 | 10890 | -9599 | 21738 | 4661 | -4108 | 0.28992 | 705 | 0 | 0
2024-01-10 | 2 | 74675 | 10559 | -9497 | 21739 | 4519 | -4065 | 0.29303 | 631 | 0 | 0
2024-01-10 | 3 | 73714 | 11220 | -10049 | 21204 | 4802 | -4301 | 0.28984 | 545 | 0 | 0
2024-01-10 | 4 | 74327 | 11053 | -9715 | 21232 | 4731 | -4158 | 0.28818 | 190 | 0 | 0
2024-01-10 | 5 | 77929 | 11541 | -10459 | 22266 | 4940 | -4476 | 0.28768 | 0 | 0 | 0
2024-01-10 | 6 | 83503 | 12241 | -11459 | 23505 | 5239 | -4905 | 0.28284 | 0 | 0 | 0
2024-01-10 | 7 | 89948 | 12914 | -12338 | 24236 | 5527 | -5281 | 0.27045 | 0 | 0 | 0
2024-01-10 | 8 | 93526 | 12664 | -12090 | 23918 | 5420 | -5175 | 0.25678 | 0 | 0 | 0
2024-01-10 | 9 | 92862 | 11935 | -11719 | 21567 | 5108 | -5016 | 0.2327 | 0 | 0 | 0
2024-01-10 | 10 | 90627 | 11888 | -11929 | 19481 | 5088 | -5106 | 0.21486 | 0 | 0 | 0
2024-01-10 | 11 | 87638 | 12021 | -12091 | 19040 | 5145 | -5175 | 0.21709 | 0 | 0 | 0
2024-01-10 | 12 | 84656 | 12650 | -12750 | 18681 | 5414 | -5457 | 0.22042 | 0 | 0 | 0
2024-01-10 | 13 | 83076 | 12996 | -12983 | 18623 | 5562 | -5557 | 0.22419 | 0 | 0 | 0
2024-01-10 | 14 | 48396 | 7575 | -7622 | 10806 | 3242 | -3262 | 0.22309 | 0 | 0 | 0
2024-01-10 | 15 | 82928 | 12505 | -12502 | 18008 | 5352 | -5351 | 0.21716 | 0 | 0 | 0
2024-01-10 | 16 | 85859 | 12338 | -12093 | 20041 | 5281 | -5176 | 0.23397 | 17 | 0 | 0
2024-01-10 | 17 | 90829 | 13044 | -12846 | 23187 | 5583 | -5498 | 0.25566 | 238 | 0 | 0
2024-01-10 | 18 | 95832 | 12968 | -12781 | 25077 | 5550 | -5470 | 0.262 | 99 | 0 | 0
2024-01-10 | 19 | 95494 | 12958 | -12462 | 25192 | 5546 | -5334 | 0.26465 | 635 | 0 | 0
2024-01-10 | 20 | 93492 | 12471 | -11971 | 25206 | 5337 | -5124 | 0.27044 | 627 | 0 | 0
2024-01-10 | 21 | 91207 | 12498 | -11874 | 25285 | 5349 | -5082 | 0.27825 | 719 | 0 | 0
2024-01-10 | 22 | 87581 | 12179 | -11671 | 24742 | 5213 | -4995 | 0.28335 | 888 | 10 | 0.011261
2024-01-10 | 23 | 82808 | 11803 | -11239 | 24148 | 5052 | -4810 | 0.29254 | 18 | 0 | 0
2024-01-10 | 24 | 78585 | 11462 | -10838 | 22839 | 4906 | -4639 | 0.29171 | 48 | 0 | 0
2024-01-11 | 1 | 76648 | 12030 | -11628 | 22411 | 5149 | -4977 | 0.2931 | 443 | 0 | 0
2024-01-11 | 2 | 75444 | 12257 | -11725 | 21958 | 5246 | -5018 | 0.29201 | 394 | 0 | 0
2024-01-11 | 3 | 74900 | 11836 | -11143 | 21885 | 5066 | -4769 | 0.29344 | 394 | 0 | 0
2024-01-11 | 4 | 75078 | 11567 | -10836 | 21609 | 4951 | -4638 | 0.28917 | 580 | 0 | 0
2024-01-11 | 5 | 78169 | 12943 | -12189 | 22521 | 5540 | -5217 | 0.28945 | 210 | 0 | 0
2024-01-11 | 6 | 83540 | 13762 | -13365 | 23577 | 5890 | -5720 | 0.28291 | 264 | 0 | 0
2024-01-11 | 7 | 90579 | 13865 | -13390 | 24961 | 5934 | -5731 | 0.27636 | 414 | 0 | 0
2024-01-11 | 8 | 94391 | 14695 | -14412 | 25018 | 6290 | -6168 | 0.26554 | 821 | 94 | 0.11449
2024-01-11 | 9 | 93642 | 13687 | -13622 | 23180 | 5858 | -5830 | 0.24767 | 432 | 8 | 0.018519
2024-01-11 | 10 | 90892 | 13129 | -13426 | 21152 | 5619 | -5746 | 0.23208 | 0 | 0 | 0
2024-01-11 | 11 | 87058 | 13570 | -13759 | 19706 | 5808 | -5889 | 0.22591 | 0 | 0 | 0
2024-01-11 | 12 | 83650 | 13861 | -13921 | 19022 | 5932 | -5958 | 0.22725 | 0 | 0 | 0
2024-01-11 | 13 | 82249 | 13911 | -14048 | 19339 | 5954 | -6013 | 0.2348 | 0 | 0 | 0
2024-01-11 | 14 | 81872 | 13718 | -13901 | 18993 | 5871 | -5950 | 0.23154 | 0 | 0 | 0
2024-01-11 | 15 | 83135 | 13350 | -13462 | 18963 | 5714 | -5762 | 0.22783 | 0 | 0 | 0
2024-01-11 | 16 | 86319 | 12961 | -12959 | 20004 | 5547 | -5546 | 0.23175 | 0 | 0 | 0
2024-01-11 | 17 | 92717 | 13518 | -13293 | 24611 | 5786 | -5689 | 0.26584 | 21 | 0 | 0
2024-01-11 | 18 | 98113 | 13906 | -13780 | 26764 | 5952 | -5898 | 0.27299 | 298 | 0 | 0
2024-01-11 | 19 | 98104 | 14117 | -13796 | 27282 | 6042 | -5905 | 0.27858 | 121 | 0 | 0
2024-01-11 | 20 | 96525 | 14235 | -13856 | 26999 | 6093 | -5931 | 0.28029 | 83 | 0 | 0
2024-01-11 | 21 | 94417 | 13849 | -13026 | 26290 | 5927 | -5575 | 0.27974 | 143 | 0 | 0
2024-01-11 | 22 | 91416 | 13409 | -12477 | 25512 | 5739 | -5340 | 0.28058 | 885 | 5 | 0.0056497
2024-01-11 | 23 | 87803 | 12194 | -11655 | 24273 | 5219 | -4989 | 0.27737 | 54 | 0 | 0
2024-01-11 | 24 | 84096 | 11961 | -11631 | 24156 | 5119 | -4978 | 0.28779 | 54 | 0 | 0
2024-01-12 | 1 | 82488 | 11232 | -10837 | 24379 | 4807 | -4638 | 0.29618 | 73 | 0 | 0
2024-01-12 | 2 | 81829 | 11192 | -10682 | 24116 | 4790 | -4572 | 0.29553 | 0 | 0 | 0
2024-01-12 | 3 | 81806 | 10455 | -10329 | 24447 | 4475 | -4421 | 0.29904 | 0 | 0 | 0
2024-01-12 | 4 | 82667 | 11100 | -10716 | 25204 | 4751 | -4586 | 0.30546 | 0 | 0 | 0
2024-01-12 | 5 | 85410 | 11032 | -10430 | 25803 | 4722 | -4464 | 0.30299 | 54 | 0 | 0
2024-01-12 | 6 | 90052 | 12032 | -11706 | 26943 | 5150 | -5010 | 0.29966 | 335 | 0 | 0
2024-01-12 | 7 | 96715 | 13627 | -13515 | 27713 | 5832 | -5784 | 0.28671 | 463 | 1 | 0.0021598
2024-01-12 | 8 | 100107 | 13636 | -13418 | 27018 | 5836 | -5743 | 0.27023 | 383 | 7 | 0.018277
2024-01-12 | 9 | 98061 | 13283 | -12851 | 23265 | 5685 | -5500 | 0.23809 | 0 | 0 | 0
2024-01-12 | 10 | 96031 | 13140 | -13073 | 21071 | 5624 | -5595 | 0.21957 | 0 | 0 | 0
2024-01-12 | 11 | 93383 | 13341 | -13076 | 20554 | 5710 | -5597 | 0.22069 | 0 | 0 | 0
2024-01-12 | 12 | 90351 | 13684 | -13580 | 20431 | 5857 | -5812 | 0.22637 | 0 | 0 | 0
2024-01-12 | 13 | 89206 | 13923 | -13726 | 20385 | 5959 | -5875 | 0.22895 | 0 | 0 | 0
2024-01-12 | 14 | 89688 | 13954 | -13767 | 20839 | 5972 | -5892 | 0.23276 | 0 | 0 | 0
2024-01-12 | 15 | 90163 | 14144 | -14222 | 21400 | 6054 | -6087 | 0.23719 | 0 | 0 | 0
2024-01-12 | 16 | 92909 | 14048 | -13658 | 22960 | 6013 | -5845 | 0.24789 | 612 | 83 | 0.13562
2024-01-12 | 17 | 97353 | 14068 | -13722 | 27235 | 6021 | -5873 | 0.28028 | 974 | 138 | 0.14168
2024-01-12 | 18 | 101748 | 14416 | -14155 | 28688 | 6170 | -6058 | 0.28233 | 578 | 43 | 0.074394
2024-01-12 | 19 | 101498 | 14765 | -14479 | 28638 | 6320 | -6197 | 0.28257 | 1040 | 241 | 0.23173
2024-01-12 | 20 | 100582 | 14340 | -13931 | 28697 | 6138 | -5962 | 0.2859 | 1227 | 267 | 0.2176
2024-01-12 | 21 | 98616 | 14268 | -13466 | 28173 | 6107 | -5764 | 0.28683 | 1709 | 283 | 0.16559
2024-01-12 | 22 | 96145 | 13635 | -13014 | 28403 | 5836 | -5570 | 0.29627 | 1206 | 284 | 0.23549
2024-01-12 | 23 | 92118 | 13504 | -12869 | 27958 | 5780 | -5508 | 0.30436 | 974 | 187 | 0.19199
2024-01-12 | 24 | 88455 | 13265 | -12673 | 27213 | 5677 | -5424 | 0.30844 | 1011 | 183 | 0.18101
2024-01-13 | 1 | 86059 | 13339 | -12536 | 26373 | 5709 | -5365 | 0.30758 | 1370 | 371 | 0.2708
2024-01-13 | 2 | 84982 | 13499 | -12812 | 26145 | 5778 | -5484 | 0.30862 | 1808 | 507 | 0.28042
2024-01-13 | 3 | 84355 | 13385 | -12682 | 26228 | 5729 | -5428 | 0.31189 | 1440 | 381 | 0.26458
2024-01-13 | 4 | 84722 | 13785 | -13096 | 26364 | 5900 | -5605 | 0.31213 | 1428 | 417 | 0.29202
2024-01-13 | 5 | 86332 | 14571 | -13940 | 27057 | 6236 | -5966 | 0.31424 | 1568 | 490 | 0.3125
2024-01-13 | 6 | 89152 | 15006 | -14523 | 27411 | 6422 | -6216 | 0.30811 | 1373 | 435 | 0.31682
2024-01-13 | 7 | 92686 | 15884 | -15616 | 28069 | 6798 | -6684 | 0.30319 | 1380 | 423 | 0.30652
2024-01-13 | 8 | 94294 | 16024 | -15538 | 26911 | 6858 | -6650 | 0.28613 | 1754 | 553 | 0.31528
2024-01-13 | 9 | 94352 | 15631 | -15363 | 23557 | 6690 | -6576 | 0.25017 | 1474 | 361 | 0.24491
2024-01-13 | 10 | 93364 | 15539 | -15430 | 22157 | 6651 | -6604 | 0.23754 | 1195 | 265 | 0.22176
2024-01-13 | 11 | 91538 | 15288 | -14221 | 21956 | 6543 | -6087 | 0.24202 | 1319 | 332 | 0.25171
2024-01-13 | 12 | 89274 | 15277 | -13670 | 21874 | 6538 | -5851 | 0.24825 | 1933 | 547 | 0.28298
2024-01-13 | 13 | 87700 | 15095 | -14019 | 21095 | 6461 | -6000 | 0.24281 | 1410 | 372 | 0.26383
2024-01-13 | 14 | 87233 | 15257 | -13866 | 21346 | 6530 | -5935 | 0.24757 | 2047 | 639 | 0.31216
2024-01-13 | 15 | 88309 | 15863 | -15182 | 21926 | 6789 | -6498 | 0.24966 | 1765 | 579 | 0.32805
2024-01-13 | 16 | 90312 | 15601 | -15050 | 22957 | 6677 | -6441 | 0.25525 | 1390 | 220 | 0.15827
2024-01-13 | 17 | 94456 | 15859 | -15079 | 26447 | 6788 | -6454 | 0.28121 | 2524 | 638 | 0.25277
2024-01-13 | 18 | 98491 | 16969 | -16277 | 27872 | 7263 | -6967 | 0.284 | 2809 | 790 | 0.28124
2024-01-13 | 19 | 97868 | 16840 | -16003 | 27479 | 7207 | -6849 | 0.28202 | 3074 | 905 | 0.2944
2024-01-13 | 20 | 97022 | 16864 | -15895 | 27561 | 7218 | -6803 | 0.2855 | 3553 | 1138 | 0.32029
2024-01-13 | 21 | 94541 | 16649 | -15557 | 27496 | 7126 | -6659 | 0.2924 | 3493 | 1238 | 0.35442
2024-01-13 | 22 | 91499 | 15869 | -14771 | 27332 | 6792 | -6322 | 0.30025 | 3230 | 1096 | 0.33932
2024-01-13 | 23 | 88647 | 14035 | -13035 | 27276 | 6007 | -5579 | 0.30903 | 2465 | 785 | 0.31846
2024-01-13 | 24 | 85044 | 14005 | -13003 | 26753 | 5994 | -5565 | 0.3159 | 2462 | 811 | 0.32941
2024-01-14 | 1 | 82689 | 13699 | -12506 | 25937 | 5863 | -5353 | 0.31529 | 1908 | 658 | 0.34486
2024-01-14 | 2 | 81036 | 13954 | -12634 | 25427 | 5972 | -5407 | 0.31561 | 1674 | 539 | 0.32198
2024-01-14 | 3 | 79871 | 14339 | -12823 | 25325 | 6137 | -5488 | 0.31914 | 1673 | 482 | 0.28811
2024-01-14 | 4 | 79916 | 14792 | -13462 | 25337 | 6331 | -5762 | 0.31886 | 1536 | 430 | 0.27995
2024-01-14 | 5 | 80773 | 15269 | -14130 | 25503 | 6535 | -6048 | 0.31729 | 1553 | 440 | 0.28332
2024-01-14 | 6 | 83195 | 15223 | -14123 | 25859 | 6515 | -6045 | 0.31234 | 1717 | 445 | 0.25917
2024-01-14 | 7 | 86463 | 14620 | -14168 | 26015 | 6257 | -6064 | 0.30154 | 1115 | 120 | 0.10762
2024-01-14 | 8 | 88773 | 14416 | -14327 | 25528 | 6170 | -6132 | 0.2877 | 1177 | 154 | 0.13084
2024-01-14 | 9 | 89849 | 13924 | -14664 | 23456 | 5960 | -6276 | 0.25968 | 507 | 11 | 0.021696
2024-01-14 | 10 | 88003 | 14170 | -14646 | 21357 | 6065 | -6269 | 0.24167 | 761 | 9 | 0.011827
2024-01-14 | 11 | 85374 | 14403 | -15148 | 20553 | 6164 | -6484 | 0.23908 | 999 | 68 | 0.068068
2024-01-14 | 12 | 82912 | 14958 | -15731 | 20241 | 6402 | -6733 | 0.24239 | 1023 | 86 | 0.084066
2024-01-14 | 13 | 81308 | 15015 | -15826 | 20402 | 6427 | -6774 | 0.24914 | 1522 | 306 | 0.20105
2024-01-14 | 14 | 80688 | 15028 | -15638 | 20347 | 6432 | -6693 | 0.25083 | 1416 | 210 | 0.14831
2024-01-14 | 15 | 82034 | 14494 | -15214 | 20751 | 6203 | -6512 | 0.2514 | 1569 | 393 | 0.25048
2024-01-14 | 16 | 84684 | 14871 | -15824 | 22073 | 6365 | -6773 | 0.25875 | 1044 | 99 | 0.094828
2024-01-14 | 17 | 90011 | 14617 | -15532 | 26158 | 6256 | -6648 | 0.28919 | 2072 | 581 | 0.28041
2024-01-14 | 18 | 95150 | 14912 | -15859 | 27254 | 6382 | -6788 | 0.285 | 1889 | 363 | 0.19217
2024-01-14 | 19 | 94748 | 14583 | -15233 | 27423 | 6241 | -6520 | 0.28847 | 1741 | 365 | 0.20965
2024-01-14 | 20 | 93252 | 14086 | -14558 | 27457 | 6029 | -6231 | 0.29376 | 2047 | 385 | 0.18808
2024-01-14 | 21 | 91156 | 13237 | -13009 | 27244 | 5665 | -5568 | 0.29919 | 1587 | 170 | 0.10712
2024-01-14 | 22 | 88240 | 13348 | -12945 | 26943 | 5713 | -5541 | 0.30589 | 1793 | 259 | 0.14445
2024-01-14 | 23 | 84955 | 12543 | -12146 | 26879 | 5368 | -5198 | 0.31691 | 1943 | 505 | 0.25991
2024-01-14 | 24 | 81643 | 12779 | -12300 | 26399 | 5469 | -5264 | 0.32396 | 1714 | 389 | 0.22695
2024-01-15 | 1 | 79975 | 14028 | -13442 | 25727 | 6004 | -5753 | 0.32246 | 2082 | 786 | 0.37752
2024-01-15 | 2 | 78344 | 14804 | -13855 | 25633 | 6336 | -5930 | 0.32839 | 1634 | 627 | 0.38372
2024-01-15 | 3 | 78066 | 14531 | -13516 | 25465 | 6219 | -5785 | 0.3275 | 1129 | 350 | 0.31001
2024-01-15 | 4 | 79452 | 14198 | -13397 | 25463 | 6077 | -5734 | 0.32156 | 861 | 179 | 0.2079
2024-01-15 | 5 | 81712 | 14236 | -13395 | 25617 | 6093 | -5733 | 0.31467 | 831 | 129 | 0.15523
2024-01-15 | 6 | 86762 | 14378 | -13802 | 26655 | 6154 | -5907 | 0.30802 | 1069 | 225 | 0.21048
2024-01-15 | 7 | 92639 | 15625 | -15742 | 26894 | 6687 | -6738 | 0.29013 | 989 | 137 | 0.13852
2024-01-15 | 8 | 96020 | 16059 | -16335 | 26798 | 6873 | -6992 | 0.27865 | 1391 | 299 | 0.21495
2024-01-15 | 9 | 96045 | 15480 | -15805 | 24937 | 6626 | -6765 | 0.25907 | 1395 | 354 | 0.25376
2024-01-15 | 10 | 94217 | 15764 | -15982 | 23936 | 6747 | -6840 | 0.25365 | 1519 | 320 | 0.21066
2024-01-15 | 11 | 90487 | 16226 | -15753 | 23562 | 6945 | -6742 | 0.26127 | 1511 | 389 | 0.25745
2024-01-15 | 12 | 88140 | 16437 | -16227 | 22934 | 7035 | -6945 | 0.2606 | 1729 | 623 | 0.36032
2024-01-15 | 13 | 85633 | 16670 | -15797 | 22825 | 7135 | -6761 | 0.26818 | 1686 | 453 | 0.26868
2024-01-15 | 14 | 83860 | 15593 | -14133 | 22512 | 6674 | -6049 | 0.27118 | 1441 | 321 | 0.22276
2024-01-15 | 15 | 84417 | 14994 | -13595 | 22985 | 6418 | -5819 | 0.27482 | 1689 | 344 | 0.20367
2024-01-15 | 16 | 86436 | 14327 | -12408 | 24902 | 6132 | -5311 | 0.29113 | 1661 | 218 | 0.13125
2024-01-15 | 17 | 91866 | 14638 | -12581 | 28188 | 6265 | -5385 | 0.30949 | 1479 | 219 | 0.14807
2024-01-15 | 18 | 97592 | 15274 | -13394 | 29569 | 6537 | -5733 | 0.30534 | 1722 | 342 | 0.19861
2024-01-15 | 19 | 97354 | 15261 | -13245 | 29483 | 6532 | -5669 | 0.30538 | 1574 | 347 | 0.22046
2024-01-15 | 20 | 96104 | 14883 | -13358 | 29499 | 6370 | -5717 | 0.30884 | 1798 | 314 | 0.17464
2024-01-15 | 21 | 92854 | 15507 | -13136 | 29806 | 6637 | -5622 | 0.32367 | 2223 | 706 | 0.31759
2024-01-15 | 22 | 89968 | 15086 | -12880 | 29392 | 6457 | -5513 | 0.32912 | 2251 | 758 | 0.33674
2024-01-15 | 23 | 85143 | 14813 | -12387 | 29156 | 6340 | -5301 | 0.34481 | 2217 | 797 | 0.35949
2024-01-15 | 24 | 81026 | 14552 | -12054 | 28525 | 6228 | -5159 | 0.35432 | 2337 | 814 | 0.34831
2024-01-16 | 1 | 79245 | 14922 | -12448 | 27765 | 6387 | -5328 | 0.35272 | 2164 | 693 | 0.32024
2024-01-16 | 2 | 78097 | 15193 | -12724 | 27551 | 6502 | -5446 | 0.35508 | 2225 | 743 | 0.33393
2024-01-16 | 3 | 78035 | 15008 | -12615 | 27615 | 6424 | -5399 | 0.35609 | 2221 | 691 | 0.31112
2024-01-16 | 4 | 79102 | 14974 | -12618 | 27519 | 6409 | -5400 | 0.35022 | 1939 | 600 | 0.30944
2024-01-16 | 5 | 82471 | 14696 | -12326 | 27943 | 6290 | -5276 | 0.34131 | 1419 | 372 | 0.26216
2024-01-16 | 6 | 87653 | 15394 | -12981 | 28836 | 6589 | -5556 | 0.33163 | 584 | 55 | 0.094178
2024-01-16 | 7 | 93803 | 16529 | -14262 | 29947 | 7075 | -6104 | 0.32183 | 757 | 0 | 0
2024-01-16 | 8 | 97092 | 16740 | -14673 | 29148 | 7165 | -6280 | 0.30288 | 2043 | 587 | 0.28732
2024-01-16 | 9 | 95769 | 16062 | -14552 | 25278 | 6874 | -6228 | 0.26649 | 2928 | 951 | 0.3248
2024-01-16 | 10 | 93452 | 15700 | -14470 | 23624 | 6720 | -6193 | 0.25507 | 2760 | 802 | 0.29058
2024-01-16 | 11 | 90221 | 16555 | -15440 | 22874 | 7086 | -6608 | 0.25567 | 1926 | 559 | 0.29024
2024-01-16 | 12 | 87236 | 16919 | -15730 | 22598 | 7241 | -6732 | 0.26132 | 2452 | 994 | 0.40538
2024-01-16 | 13 | 86331 | 16578 | -16095 | 22578 | 7095 | -6889 | 0.26245 | 2557 | 804 | 0.31443
2024-01-16 | 14 | 86127 | 16614 | -16106 | 22431 | 7111 | -6893 | 0.26143 | 2490 | 970 | 0.38956
2024-01-16 | 15 | 86643 | 16153 | -15594 | 22295 | 6913 | -6674 | 0.25841 | 2552 | 858 | 0.33621
2024-01-16 | 16 | 88857 | 15876 | -15382 | 24215 | 6795 | -6584 | 0.27337 | 1671 | 462 | 0.27648
2024-01-16 | 17 | 92581 | 15384 | -14081 | 27475 | 6584 | -6027 | 0.29858 | 624 | 70 | 0.11218
2024-01-16 | 18 | 97011 | 15562 | -14272 | 28508 | 6661 | -6109 | 0.29562 | 1264 | 300 | 0.23734
2024-01-16 | 19 | 96461 | 15432 | -13893 | 28482 | 6605 | -5946 | 0.29736 | 1644 | 373 | 0.22689
2024-01-16 | 20 | 94525 | 15333 | -13756 | 28074 | 6562 | -5888 | 0.29914 | 2032 | 447 | 0.21998
2024-01-16 | 21 | 91622 | 15656 | -13665 | 27550 | 6701 | -5849 | 0.3034 | 1699 | 448 | 0.26368
2024-01-16 | 22 | 87521 | 15802 | -13506 | 27003 | 6763 | -5780 | 0.31159 | 2100 | 652 | 0.31048
2024-01-16 | 23 | 82903 | 14278 | -11987 | 26177 | 6111 | -5130 | 0.31878 | 1721 | 547 | 0.31784
2024-01-16 | 24 | 78598 | 13675 | -11260 | 25456 | 5853 | -4819 | 0.32698 | 1769 | 511 | 0.28886
2024-01-17 | 1 | 76643 | 13285 | -11408 | 24625 | 5686 | -4882 | 0.32385 | 1087 | 159 | 0.14627
2024-01-17 | 2 | 75348 | 13104 | -11341 | 24449 | 5608 | -4854 | 0.32684 | 792 | 1 | 0.0012626
2024-01-17 | 3 | 74526 | 13288 | -11393 | 24121 | 5687 | -4876 | 0.32625 | 469 | 0 | 0
2024-01-17 | 4 | 74785 | 13291 | -11383 | 23954 | 5689 | -4872 | 0.32299 | 248 | 0 | 0
2024-01-17 | 5 | 77880 | 13637 | -12061 | 24367 | 5837 | -5162 | 0.31517 | 258 | 0 | 0
2024-01-17 | 6 | 83360 | 13467 | -12203 | 25420 | 5764 | -5223 | 0.30678 | 0 | 0 | 0
2024-01-17 | 7 | 88933 | 13611 | -12593 | 25956 | 5825 | -5390 | 0.29339 | 0 | 0 | 0
2024-01-17 | 8 | 92952 | 13449 | -12771 | 26605 | 5756 | -5466 | 0.28725 | 383 | 0 | 0
2024-01-17 | 9 | 92116 | 13247 | -12208 | 24954 | 5670 | -5225 | 0.27265 | 561 | 5 | 0.0089127
2024-01-17 | 10 | 91229 | 13435 | -12472 | 23089 | 5750 | -5338 | 0.25491 | 133 | 0 | 0
2024-01-17 | 11 | 88939 | 14038 | -13163 | 21862 | 6008 | -5634 | 0.24758 | 363 | 0 | 0
2024-01-17 | 12 | 85989 | 13992 | -13245 | 20488 | 5989 | -5669 | 0.2399 | 172 | 0 | 0
2024-01-17 | 13 | 84335 | 14267 | -13288 | 20533 | 6106 | -5687 | 0.24559 | 190 | 0 | 0
2024-01-17 | 14 | 83520 | 14112 | -12940 | 20443 | 6040 | -5538 | 0.24731 | 653 | 0 | 0
2024-01-17 | 15 | 83531 | 14501 | -13095 | 20596 | 6206 | -5604 | 0.24957 | 170 | 0 | 0
2024-01-17 | 16 | 86044 | 14237 | -12977 | 22049 | 6093 | -5554 | 0.25873 | 0 | 0 | 0
2024-01-17 | 17 | 90260 | 14467 | -13893 | 25141 | 6192 | -5946 | 0.27949 | 3 | 0 | 0
2024-01-17 | 18 | 94412 | 14695 | -13996 | 26666 | 6290 | -5990 | 0.28352 | 43 | 0 | 0
2024-01-17 | 19 | 93684 | 14733 | -13580 | 26785 | 6306 | -5812 | 0.28764 | 56 | 0 | 0
2024-01-17 | 20 | 91434 | 14843 | -13557 | 26392 | 6353 | -5803 | 0.29057 | 588 | 4 | 0.0068027
2024-01-17 | 21 | 88976 | 14832 | -13684 | 26018 | 6348 | -5857 | 0.29414 | 515 | 1 | 0.0019417
2024-01-17 | 22 | 85288 | 14812 | -13516 | 25228 | 6340 | -5785 | 0.29778 | 474 | 0 | 0
2024-01-17 | 23 | 81504 | 13269 | -12220 | 24480 | 5679 | -5230 | 0.30198 | 496 | 25 | 0.050403
2024-01-17 | 24 | 77858 | 12651 | -11513 | 23831 | 5414 | -4928 | 0.30783 | 1054 | 254 | 0.24099
2024-01-18 | 1 | 75762 | 11938 | -10865 | 23683 | 5109 | -4650 | 0.31421 | 404 | 3 | 0.0074257
2024-01-18 | 2 | 74342 | 11923 | -10815 | 23582 | 5103 | -4629 | 0.31883 | 444 | 0 | 0
2024-01-18 | 3 | 73883 | 11855 | -10750 | 23664 | 5074 | -4601 | 0.32188 | 565 | 0 | 0
2024-01-18 | 4 | 74935 | 11079 | -10384 | 23766 | 4742 | -4444 | 0.31818 | 436 | 2 | 0.0045872
2024-01-18 | 5 | 77804 | 11182 | -10630 | 24118 | 4786 | -4550 | 0.31081 | 212 | 0 | 0
2024-01-18 | 6 | 83345 | 11730 | -11289 | 25036 | 5020 | -4831 | 0.30106 | 137 | 0 | 0
2024-01-18 | 7 | 89188 | 12561 | -12010 | 25999 | 5376 | -5140 | 0.29235 | 155 | 0 | 0
2024-01-18 | 8 | 92242 | 12763 | -12303 | 25733 | 5462 | -5266 | 0.2797 | 725 | 61 | 0.084138
2024-01-18 | 9 | 90697 | 12531 | -12154 | 23039 | 5363 | -5202 | 0.25474 | 840 | 30 | 0.035714
2024-01-18 | 10 | 87877 | 12398 | -11775 | 21200 | 5306 | -5040 | 0.24255 | 607 | 0 | 0
2024-01-18 | 11 | 84852 | 12728 | -12067 | 20339 | 5447 | -5165 | 0.24114 | 119 | 0 | 0
2024-01-18 | 12 | 83846 | 12843 | -12540 | 20249 | 5497 | -5367 | 0.24218 | 0 | 0 | 0
2024-01-18 | 13 | 82907 | 13210 | -13001 | 20147 | 5654 | -5565 | 0.24347 | 0 | 0 | 0
2024-01-18 | 14 | 83241 | 13033 | -12566 | 20412 | 5578 | -5378 | 0.24624 | 31 | 0 | 0
2024-01-18 | 15 | 84134 | 12681 | -12377 | 21209 | 5428 | -5297 | 0.25273 | 49 | 0 | 0
2024-01-18 | 16 | 86474 | 12316 | -12078 | 23855 | 5271 | -5169 | 0.27628 | 762 | 58 | 0.076115
2024-01-18 | 17 | 90074 | 12528 | -12133 | 27045 | 5362 | -5193 | 0.30081 | 991 | 154 | 0.1554
2024-01-18 | 18 | 94608 | 13283 | -12279 | 28009 | 5685 | -5255 | 0.29744 | 1188 | 84 | 0.070707
2024-01-18 | 19 | 93523 | 13096 | -11953 | 27978 | 5605 | -5116 | 0.30071 | 1062 | 89 | 0.083804
2024-01-18 | 20 | 91890 | 13195 | -11931 | 27779 | 5648 | -5107 | 0.30401 | 1053 | 33 | 0.031339
2024-01-18 | 21 | 88803 | 13476 | -11695 | 27616 | 5768 | -5006 | 0.31328 | 1340 | 99 | 0.073881
2024-01-18 | 22 | 85125 | 13232 | -11278 | 27492 | 5663 | -4827 | 0.32531 | 941 | 3 | 0.0031881
2024-01-18 | 23 | 80847 | 12225 | -10698 | 26625 | 5232 | -4579 | 0.33115 | 829 | 102 | 0.12304
2024-01-18 | 24 | 77021 | 11881 | -10363 | 25791 | 5085 | -4435 | 0.33666 | 417 | 3 | 0.0071942
2024-01-19 | 1 | 74764 | 12502 | -10796 | 25669 | 5351 | -4621 | 0.34522 | 538 | 0 | 0
2024-01-19 | 2 | 73422 | 12119 | -10546 | 25568 | 5187 | -4514 | 0.3499 | 452 | 4 | 0.0088496
2024-01-19 | 3 | 72799 | 11895 | -10300 | 25511 | 5091 | -4408 | 0.3521 | 379 | 19 | 0.050132
2024-01-19 | 4 | 73163 | 11978 | -10323 | 25551 | 5126 | -4418 | 0.35097 | 70 | 0 | 0
2024-01-19 | 5 | 75492 | 12421 | -10659 | 25919 | 5316 | -4562 | 0.34526 | 34 | 0 | 0
2024-01-19 | 6 | 80641 | 12462 | -10691 | 26662 | 5334 | -4576 | 0.33272 | 156 | 0 | 0
2024-01-19 | 7 | 85405 | 12544 | -10594 | 27547 | 5369 | -4534 | 0.3249 | 886 | 0 | 0
2024-01-19 | 8 | 89145 | 12875 | -11084 | 27381 | 5511 | -4744 | 0.30954 | 1365 | 156 | 0.11429
2024-01-19 | 9 | 88762 | 12424 | -10852 | 26010 | 5318 | -4645 | 0.29538 | 1099 | 123 | 0.11192
2024-01-19 | 10 | 87530 | 12739 | -11207 | 24730 | 5452 | -4797 | 0.28503 | 783 | 27 | 0.034483
2024-01-19 | 11 | 85437 | 12334 | -10920 | 23840 | 5279 | -4674 | 0.28146 | 717 | 25 | 0.034868
2024-01-19 | 12 | 83119 | 12519 | -10732 | 23651 | 5358 | -4593 | 0.28757 | 589 | 0 | 0
2024-01-19 | 13 | 81491 | 12808 | -10682 | 23176 | 5482 | -4572 | 0.28805 | 377 | 0 | 0
2024-01-19 | 14 | 81841 | 12977 | -10625 | 23236 | 5554 | -4548 | 0.28793 | 590 | 31 | 0.052542
2024-01-19 | 15 | 82766 | 12797 | -10574 | 24065 | 5477 | -4526 | 0.29434 | 635 | 0 | 0
2024-01-19 | 16 | 84519 | 12968 | -10924 | 25642 | 5550 | -4676 | 0.30632 | 826 | 8 | 0.0096852
2024-01-19 | 17 | 86808 | 12950 | -10684 | 27116 | 5542 | -4573 | 0.3153 | 952 | 0 | 0
2024-01-19 | 18 | 89874 | 13619 | -11085 | 27787 | 5829 | -4744 | 0.31244 | 768 | 0 | 0
2024-01-19 | 19 | 88576 | 14016 | -11420 | 27637 | 5999 | -4888 | 0.31532 | 914 | 0 | 0
2024-01-19 | 20 | 86417 | 14068 | -11335 | 27460 | 6021 | -4851 | 0.32114 | 791 | 15 | 0.018963
2024-01-19 | 21 | 84315 | 13972 | -11257 | 27172 | 5980 | -4818 | 0.32557 | 1173 | 174 | 0.14834
2024-01-19 | 22 | 81383 | 13346 | -10734 | 26632 | 5712 | -4594 | 0.33038 | 1340 | 184 | 0.13731
2024-01-19 | 23 | 77767 | 12776 | -10182 | 26191 | 5468 | -4358 | 0.33973 | 612 | 2 | 0.003268
2024-01-19 | 24 | 74095 | 12337 | -9623 | 25156 | 5280 | -4119 | 0.34263 | 501 | 0 | 0
2024-01-20 | 1 | 71440 | 11987 | -9107 | 24396 | 5131 | -3898 | 0.34485 | 523 | 16 | 0.030593
2024-01-20 | 2 | 69518 | 11560 | -8639 | 23818 | 4948 | -3698 | 0.34606 | 428 | 0 | 0
2024-01-20 | 3 | 68606 | 11687 | -8664 | 23652 | 5002 | -3708 | 0.34827 | 135 | 0 | 0
2024-01-20 | 4 | 68520 | 11643 | -8521 | 23440 | 4983 | -3647 | 0.34583 | 0 | 0 | 0
2024-01-20 | 5 | 69519 | 11730 | -8636 | 23552 | 5020 | -3696 | 0.34258 | 0 | 0 | 0
2024-01-20 | 6 | 72539 | 11340 | -8724 | 23700 | 4854 | -3734 | 0.33025 | 0 | 0 | 0
2024-01-20 | 7 | 75473 | 11795 | -9182 | 23890 | 5048 | -3930 | 0.32026 | 530 | 0 | 0
2024-01-20 | 8 | 78328 | 11586 | -9397 | 24040 | 4959 | -4022 | 0.31021 | 92 | 0 | 0
2024-01-20 | 9 | 80345 | 11934 | -9957 | 23464 | 5108 | -4262 | 0.2953 | 73 | 0 | 0
2024-01-20 | 10 | 80816 | 11827 | -9766 | 23063 | 5062 | -4180 | 0.28892 | 270 | 0 | 0
2024-01-20 | 11 | 80051 | 11738 | -9752 | 23052 | 5024 | -4174 | 0.29136 | 340 | 8 | 0.023529
2024-01-20 | 12 | 79551 | 11867 | -9870 | 22966 | 5079 | -4224 | 0.29211 | 423 | 0 | 0
2024-01-20 | 13 | 79812 | 11843 | -9817 | 22869 | 5069 | -4202 | 0.29004 | 156 | 0 | 0
2024-01-20 | 14 | 79933 | 11556 | -9676 | 23068 | 4946 | -4141 | 0.2918 | 628 | 0 | 0
2024-01-20 | 15 | 80548 | 11486 | -9755 | 23572 | 4916 | -4175 | 0.29549 | 841 | 0 | 0
2024-01-20 | 16 | 82206 | 12007 | -10132 | 24802 | 5139 | -4336 | 0.30453 | 893 | 60 | 0.067189
2024-01-20 | 17 | 84095 | 12287 | -10297 | 25464 | 5259 | -4407 | 0.3057 | 567 | 0 | 0
2024-01-20 | 18 | 86974 | 12515 | -10623 | 26119 | 5357 | -4547 | 0.30303 | 243 | 0 | 0
2024-01-20 | 19 | 85428 | 12150 | -10240 | 25620 | 5200 | -4383 | 0.3027 | 638 | 0 | 0
2024-01-20 | 20 | 83963 | 12363 | -10482 | 25647 | 5291 | -4486 | 0.30814 | 1086 | 90 | 0.082873
2024-01-20 | 21 | 81846 | 12137 | -10371 | 24842 | 5195 | -4439 | 0.30615 | 874 | 32 | 0.036613
2024-01-20 | 22 | 79403 | 12012 | -9970 | 24674 | 5141 | -4267 | 0.31368 | 932 | 42 | 0.045064
2024-01-20 | 23 | 76258 | 11326 | -9507 | 24203 | 4848 | -4069 | 0.31997 | 615 | 9 | 0.014634
2024-01-20 | 24 | 72659 | 11187 | -9304 | 23385 | 4788 | -3982 | 0.32453 | 767 | 58 | 0.075619
2024-01-21 | 1 | 70043 | 10279 | -8280 | 22840 | 4400 | -3544 | 0.32892 | 754 | 83 | 0.11008
2024-01-21 | 2 | 69260 | 10338 | -8427 | 22492 | 4425 | -3607 | 0.32752 | 838 | 77 | 0.091885
2024-01-21 | 3 | 68070 | 10336 | -8498 | 22225 | 4424 | -3637 | 0.32918 | 575 | 2 | 0.0034783
2024-01-21 | 4 | 67505 | 10558 | -8707 | 22056 | 4519 | -3726 | 0.32945 | 311 | 0 | 0
2024-01-21 | 5 | 67912 | 10534 | -8659 | 21888 | 4508 | -3706 | 0.32513 | 408 | 0 | 0
2024-01-21 | 6 | 69782 | 10488 | -8744 | 22091 | 4489 | -3743 | 0.31928 | 157 | 0 | 0
2024-01-21 | 7 | 71738 | 10461 | -8717 | 22200 | 4477 | -3731 | 0.31227 | 407 | 0 | 0
2024-01-21 | 8 | 74725 | 10095 | -8610 | 22660 | 4321 | -3685 | 0.30568 | 42 | 0 | 0
2024-01-21 | 9 | 77051 | 10490 | -8913 | 22816 | 4490 | -3815 | 0.29876 | 0 | 0 | 0
2024-01-21 | 10 | 77342 | 10653 | -9141 | 22337 | 4559 | -3912 | 0.29148 | 0 | 0 | 0
2024-01-21 | 11 | 76820 | 10287 | -8846 | 21368 | 4403 | -3786 | 0.28092 | 0 | 0 | 0
2024-01-21 | 12 | 74932 | 10457 | -9099 | 20106 | 4476 | -3894 | 0.27118 | 0 | 0 | 0
2024-01-21 | 13 | 75333 | 10709 | -9453 | 19780 | 4583 | -4046 | 0.26527 | 0 | 0 | 0
2024-01-21 | 14 | 75646 | 10401 | -9200 | 20215 | 4451 | -3937 | 0.26974 | 0 | 0 | 0
2024-01-21 | 15 | 76169 | 10288 | -9169 | 20598 | 4403 | -3924 | 0.27271 | 0 | 0 | 0
2024-01-21 | 16 | 78543 | 10590 | -9393 | 21636 | 4532 | -4020 | 0.27775 | 0 | 0 | 0
2024-01-21 | 17 | 82279 | 11005 | -9802 | 24050 | 4710 | -4195 | 0.29426 | 179 | 0 | 0
2024-01-21 | 18 | 86821 | 11255 | -10274 | 25027 | 4817 | -4397 | 0.28982 | 44 | 0 | 0
2024-01-21 | 19 | 85681 | 11520 | -10393 | 25030 | 4930 | -4448 | 0.29389 | 547 | 0 | 0
2024-01-21 | 20 | 84074 | 11355 | -10159 | 24916 | 4860 | -4348 | 0.29821 | 563 | 0 | 0
2024-01-21 | 21 | 81256 | 10848 | -9338 | 24667 | 4643 | -3997 | 0.30584 | 797 | 0 | 0
2024-01-21 | 22 | 77871 | 10315 | -8862 | 24187 | 4415 | -3793 | 0.31276 | 680 | 0 | 0
2024-01-21 | 23 | 73680 | 10354 | -8717 | 22678 | 4432 | -3731 | 0.31041 | 585 | 0 | 0
2024-01-21 | 24 | 70161 | 10423 | -8645 | 22303 | 4461 | -3700 | 0.3206 | 604 | 0 | 0
2024-01-22 | 1 | 68289 | 10171 | -8552 | 22522 | 4353 | -3660 | 0.33208 | 711 | 1 | 0.0014065
2024-01-22 | 2 | 67120 | 10367 | -8679 | 22297 | 4437 | -3715 | 0.33454 | 716 | 0 | 0
2024-01-22 | 3 | 66274 | 10290 | -8575 | 22467 | 4404 | -3670 | 0.34125 | 683 | 0 | 0
2024-01-22 | 4 | 66988 | 10045 | -8453 | 22675 | 4299 | -3618 | 0.34057 | 207 | 0 | 0
2024-01-22 | 5 | 69950 | 10293 | -8900 | 23464 | 4405 | -3809 | 0.33724 | 149 | 0 | 0
2024-01-22 | 6 | 74499 | 10688 | -9437 | 24057 | 4574 | -4039 | 0.32465 | 214 | 0 | 0
2024-01-22 | 7 | 80588 | 11657 | -10586 | 24887 | 4989 | -4531 | 0.31038 | 443 | 7 | 0.015801
2024-01-22 | 8 | 84408 | 11894 | -10847 | 25252 | 5091 | -4643 | 0.30074 | 857 | 56 | 0.065344
2024-01-22 | 9 | 85587 | 11274 | -10174 | 25151 | 4825 | -4354 | 0.29557 | 973 | 99 | 0.10175
2024-01-22 | 10 | 85503 | 11342 | -10118 | 25177 | 4855 | -4331 | 0.29634 | 1387 | 291 | 0.20981
2024-01-22 | 11 | 84982 | 11298 | -10152 | 25289 | 4836 | -4345 | 0.29932 | 1317 | 264 | 0.20046
2024-01-22 | 12 | 83243 | 11531 | -10287 | 24699 | 4935 | -4403 | 0.29864 | 1280 | 321 | 0.25078
2024-01-22 | 13 | 81837 | 11456 | -9892 | 24307 | 4903 | -4234 | 0.29947 | 1342 | 324 | 0.24143
2024-01-22 | 14 | 81302 | 11614 | -9985 | 24501 | 4971 | -4274 | 0.30384 | 536 | 12 | 0.022388
2024-01-22 | 15 | 81650 | 11565 | -9989 | 24727 | 4950 | -4275 | 0.30522 | 604 | 0 | 0
2024-01-22 | 16 | 82508 | 11405 | -9667 | 25701 | 4881 | -4138 | 0.31389 | 491 | 1 | 0.0020367
2024-01-22 | 17 | 84765 | 12096 | -10302 | 26380 | 5177 | -4409 | 0.31364 | 865 | 0 | 0
2024-01-22 | 18 | 87920 | 12577 | -10779 | 27175 | 5383 | -4613 | 0.31148 | 1120 | 111 | 0.099107
2024-01-22 | 19 | 87142 | 12844 | -10721 | 26963 | 5497 | -4589 | 0.31223 | 1015 | 15 | 0.014778
2024-01-22 | 20 | 85166 | 13249 | -11027 | 26656 | 5670 | -4719 | 0.31591 | 1093 | 29 | 0.026532
2024-01-22 | 21 | 82331 | 12587 | -10225 | 26170 | 5387 | -4376 | 0.32094 | 1218 | 83 | 0.068144
2024-01-22 | 22 | 78344 | 12235 | -9578 | 25353 | 5236 | -4100 | 0.32702 | 1208 | 86 | 0.071192
2024-01-22 | 23 | 73760 | 11299 | -8817 | 24702 | 4836 | -3774 | 0.33792 | 688 | 3 | 0.0043605
2024-01-22 | 24 | 69969 | 11370 | -8982 | 24027 | 4866 | -3844 | 0.34619 | 382 | 1 | 0.0026178
2024-01-23 | 1 | 67327 | 11338 | -9010 | 23261 | 4852 | -3856 | 0.34824 | 530 | 39 | 0.073585
2024-01-23 | 2 | 65124 | 11212 | -8559 | 22970 | 4799 | -3663 | 0.35567 | 348 | 8 | 0.022989
2024-01-23 | 3 | 64202 | 11271 | -8405 | 23090 | 4824 | -3597 | 0.36257 | 362 | 0 | 0
2024-01-23 | 4 | 64712 | 11298 | -8378 | 23307 | 4836 | -3586 | 0.3631 | 73 | 0 | 0
2024-01-23 | 5 | 67375 | 11312 | -8423 | 23845 | 4842 | -3605 | 0.35697 | 2 | 0 | 0
2024-01-23 | 6 | 72171 | 11839 | -9054 | 24126 | 5067 | -3875 | 0.33777 | 0 | 0 | 0
2024-01-23 | 7 | 77178 | 12991 | -9913 | 24291 | 5560 | -4243 | 0.31908 | 77 | 0 | 0
2024-01-23 | 8 | 80760 | 13333 | -10313 | 24433 | 5707 | -4414 | 0.30707 | 514 | 0 | 0
2024-01-23 | 9 | 80561 | 12953 | -9890 | 23691 | 5544 | -4233 | 0.29898 | 20 | 0 | 0
2024-01-23 | 10 | 79160 | 12566 | -9596 | 22719 | 5378 | -4107 | 0.2921 | 29 | 0 | 0
2024-01-23 | 11 | 76387 | 12211 | -9257 | 21559 | 5226 | -3962 | 0.28766 | 561 | 0 | 0
2024-01-23 | 12 | 73935 | 12230 | -9276 | 20582 | 5234 | -3970 | 0.28412 | 681 | 0 | 0
2024-01-23 | 13 | 71993 | 12093 | -9086 | 19950 | 5176 | -3889 | 0.28316 | 506 | 0 | 0
2024-01-23 | 14 | 71947 | 11864 | -8915 | 19934 | 5078 | -3816 | 0.28301 | 202 | 0 | 0
2024-01-23 | 15 | 73290 | 11888 | -9271 | 20910 | 5088 | -3968 | 0.29022 | 257 | 0 | 0
2024-01-23 | 16 | 76207 | 11861 | -9692 | 22118 | 5076 | -4148 | 0.29404 | 83 | 0 | 0
2024-01-23 | 17 | 80367 | 12196 | -10106 | 23807 | 5220 | -4325 | 0.29957 | 234 | 0 | 0
2024-01-23 | 18 | 85291 | 13443 | -11273 | 24885 | 5754 | -4825 | 0.29515 | 422 | 0 | 0
2024-01-23 | 19 | 85595 | 13656 | -11343 | 25083 | 5845 | -4855 | 0.29659 | 659 | 0 | 0
2024-01-23 | 20 | 84041 | 13403 | -10984 | 24931 | 5737 | -4701 | 0.30034 | 411 | 0 | 0
2024-01-23 | 21 | 81635 | 13197 | -10590 | 25120 | 5649 | -4532 | 0.31145 | 741 | 0 | 0
2024-01-23 | 22 | 78076 | 12910 | -9991 | 25231 | 5525 | -4276 | 0.32693 | 627 | 38 | 0.060606
2024-01-23 | 23 | 74425 | 11937 | -9199 | 25069 | 5109 | -3937 | 0.34007 | 713 | 0 | 0
2024-01-23 | 24 | 58470 | 9704 | -7199 | 20236 | 4153 | -3081 | 0.34945 | 437 | 0 | 0
2024-01-24 | 1 | 67107 | 11363 | -8753 | 23324 | 4864 | -3746 | 0.35059 | 687 | 53 | 0.077147
2024-01-24 | 2 | 65782 | 11105 | -8557 | 22849 | 4753 | -3662 | 0.35036 | 534 | 18 | 0.033708
2024-01-24 | 3 | 64916 | 10998 | -8357 | 22574 | 4707 | -3577 | 0.35087 | 0 | 0 | 0
2024-01-24 | 4 | 65401 | 10950 | -8265 | 22804 | 4687 | -3537 | 0.35182 | 0 | 0 | 0
2024-01-24 | 5 | 68758 | 11216 | -8621 | 23498 | 4800 | -3690 | 0.34488 | 0 | 0 | 0
2024-01-24 | 6 | 73508 | 11805 | -9173 | 24379 | 5053 | -3926 | 0.33499 | 151 | 0 | 0
2024-01-24 | 7 | 78839 | 13534 | -10772 | 25025 | 5793 | -4610 | 0.32117 | 0 | 0 | 0
2024-01-24 | 8 | 82193 | 13668 | -10888 | 25065 | 5850 | -4660 | 0.30898 | 578 | 0 | 0
2024-01-24 | 9 | 84113 | 12648 | -10663 | 24411 | 5413 | -4564 | 0.29339 | 1008 | 10 | 0.0099206
2024-01-24 | 10 | 83181 | 12569 | -10364 | 24062 | 5380 | -4436 | 0.29286 | 1592 | 163 | 0.10239
2024-01-24 | 11 | 81961 | 12066 | -9722 | 23794 | 5164 | -4161 | 0.29413 | 1127 | 43 | 0.038154
2024-01-24 | 12 | 80260 | 12138 | -9819 | 23172 | 5195 | -4203 | 0.29262 | 1323 | 112 | 0.084656
2024-01-24 | 13 | 78484 | 11797 | -9432 | 22646 | 5049 | -4037 | 0.29262 | 923 | 129 | 0.13976
2024-01-24 | 14 | 78174 | 11921 | -9863 | 22143 | 5102 | -4221 | 0.28697 | 1082 | 139 | 0.12847
2024-01-24 | 15 | 78956 | 11763 | -9945 | 22774 | 5034 | -4256 | 0.29158 | 1553 | 221 | 0.14231
2024-01-24 | 16 | 81486 | 11965 | -10318 | 24332 | 5121 | -4416 | 0.30117 | 697 | 8 | 0.011478
2024-01-24 | 17 | 83174 | 12394 | -10211 | 25933 | 5305 | -4370 | 0.31477 | 751 | 4 | 0.0053262
2024-01-24 | 18 | 86192 | 12552 | -10241 | 26289 | 5372 | -4383 | 0.30822 | 533 | 0 | 0
2024-01-24 | 19 | 85561 | 12715 | -10105 | 26281 | 5442 | -4325 | 0.31074 | 788 | 0 | 0
2024-01-24 | 20 | 84052 | 13158 | -10464 | 26236 | 5632 | -4479 | 0.31574 | 852 | 0 | 0
2024-01-24 | 21 | 81737 | 12719 | -10009 | 25546 | 5444 | -4284 | 0.31625 | 1387 | 89 | 0.064167
2024-01-24 | 22 | 77995 | 12532 | -9589 | 24641 | 5364 | -4104 | 0.32001 | 1173 | 63 | 0.053708
2024-01-24 | 23 | 74215 | 11797 | -9176 | 23576 | 5049 | -3927 | 0.32144 | 548 | 3 | 0.0054745
2024-01-24 | 24 | 70143 | 11421 | -8955 | 22489 | 4888 | -3833 | 0.32426 | 508 | 37 | 0.072835
2024-01-25 | 1 | 68049 | 11032 | -8654 | 21981 | 4722 | -3704 | 0.32657 | 118 | 0 | 0
2024-01-25 | 2 | 67003 | 10848 | -8534 | 21835 | 4643 | -3653 | 0.32928 | 253 | 0 | 0
2024-01-25 | 3 | 66541 | 10858 | -8675 | 21424 | 4647 | -3713 | 0.32533 | 362 | 3 | 0.0082873
2024-01-25 | 4 | 67109 | 10948 | -8742 | 21793 | 4686 | -3742 | 0.32802 | 363 | 0 | 0
2024-01-25 | 5 | 69310 | 11527 | -9232 | 22271 | 4934 | -3951 | 0.32475 | 162 | 0 | 0
2024-01-25 | 6 | 74425 | 11803 | -9598 | 23025 | 5052 | -4108 | 0.31279 | 0 | 0 | 0
2024-01-25 | 7 | 80576 | 12027 | -9767 | 23658 | 5148 | -4180 | 0.29729 | 8 | 0 | 0
2024-01-25 | 8 | 84198 | 12154 | -9953 | 23630 | 5202 | -4260 | 0.2844 | 65 | 0 | 0
2024-01-25 | 9 | 83475 | 11607 | -9520 | 22641 | 4968 | -4075 | 0.27505 | 0 | 0 | 0
2024-01-25 | 10 | 80563 | 11599 | -9582 | 20942 | 4964 | -4101 | 0.26405 | 0 | 0 | 0
2024-01-25 | 11 | 77232 | 11490 | -9437 | 18997 | 4918 | -4039 | 0.25069 | 0 | 0 | 0
2024-01-25 | 12 | 73699 | 11419 | -9317 | 17555 | 4887 | -3988 | 0.24345 | 0 | 0 | 0
2024-01-25 | 13 | 72588 | 11690 | -9681 | 17459 | 5003 | -4143 | 0.24557 | 0 | 0 | 0
2024-01-25 | 14 | 60776 | 9746 | -8359 | 14388 | 4171 | -3578 | 0.241 | 0 | 0 | 0
2024-01-25 | 15 | 73541 | 11285 | -9911 | 17264 | 4830 | -4242 | 0.2383 | 0 | 0 | 0
2024-01-25 | 16 | 75654 | 10977 | -9362 | 18612 | 4698 | -4007 | 0.24982 | 0 | 0 | 0
2024-01-25 | 17 | 80514 | 11987 | -10498 | 22079 | 5130 | -4493 | 0.27701 | 290 | 0 | 0
2024-01-25 | 18 | 84699 | 13215 | -11306 | 24111 | 5656 | -4839 | 0.28783 | 656 | 0 | 0
2024-01-25 | 19 | 85033 | 13067 | -11094 | 24609 | 5593 | -4748 | 0.29255 | 741 | 0 | 0
2024-01-25 | 20 | 83046 | 13325 | -10837 | 24734 | 5703 | -4638 | 0.30162 | 871 | 0 | 0
2024-01-25 | 21 | 81076 | 13109 | -10353 | 24587 | 5611 | -4431 | 0.30736 | 626 | 0 | 0
2024-01-25 | 22 | 77964 | 12402 | -9631 | 24347 | 5308 | -4122 | 0.31626 | 666 | 0 | 0
2024-01-25 | 23 | 74279 | 12295 | -9928 | 23978 | 5262 | -4249 | 0.32606 | 500 | 0 | 0
2024-01-25 | 24 | 70248 | 12187 | -9329 | 23262 | 5216 | -3993 | 0.33492 | 485 | 0 | 0
2024-01-26 | 1 | 68395 | 11292 | -8743 | 23083 | 4833 | -3742 | 0.34075 | 409 | 9 | 0.022005
2024-01-26 | 2 | 66773 | 11142 | -8634 | 22828 | 4769 | -3695 | 0.345 | 520 | 1 | 0.0019231
2024-01-26 | 3 | 65781 | 11394 | -8894 | 22789 | 4877 | -3807 | 0.34942 | 543 | 0 | 0
2024-01-26 | 4 | 66307 | 11357 | -8877 | 23379 | 4861 | -3799 | 0.35531 | 515 | 0 | 0
2024-01-26 | 5 | 68921 | 11506 | -9164 | 24038 | 4925 | -3922 | 0.35139 | 225 | 0 | 0
2024-01-26 | 6 | 73146 | 11936 | -9340 | 24438 | 5109 | -3998 | 0.33732 | 89 | 0 | 0
2024-01-26 | 7 | 79407 | 12268 | -9899 | 24755 | 5251 | -4237 | 0.31512 | 507 | 0 | 0
2024-01-26 | 8 | 82144 | 12367 | -9809 | 24342 | 5293 | -4198 | 0.30031 | 622 | 5 | 0.0080386
2024-01-26 | 9 | 80740 | 11632 | -9154 | 21751 | 4978 | -3918 | 0.27411 | 528 | 0 | 0
2024-01-26 | 10 | 78731 | 11898 | -9452 | 19878 | 5092 | -4045 | 0.25777 | 14 | 0 | 0
2024-01-26 | 11 | 76189 | 11427 | -9157 | 19232 | 4891 | -3919 | 0.25751 | 0 | 0 | 0
2024-01-26 | 12 | 73834 | 11524 | -9177 | 18563 | 4932 | -3928 | 0.25685 | 0 | 0 | 0
2024-01-26 | 13 | 72094 | 11585 | -9356 | 17985 | 4958 | -4004 | 0.25482 | 0 | 0 | 0
2024-01-26 | 14 | 72556 | 11741 | -9714 | 18080 | 5025 | -4158 | 0.25404 | 0 | 0 | 0
2024-01-26 | 15 | 73950 | 11281 | -9505 | 18247 | 4828 | -4068 | 0.251 | 0 | 0 | 0
2024-01-26 | 16 | 75798 | 11390 | -9454 | 19497 | 4875 | -4046 | 0.26148 | 0 | 0 | 0
2024-01-26 | 17 | 79691 | 12500 | -10184 | 22982 | 5350 | -4359 | 0.29233 | 334 | 0 | 0
2024-01-26 | 18 | 83081 | 12878 | -10282 | 24615 | 5512 | -4401 | 0.30027 | 882 | 74 | 0.0839
2024-01-26 | 19 | 82514 | 12765 | -9978 | 24767 | 5463 | -4270 | 0.30433 | 909 | 102 | 0.11221
2024-01-26 | 20 | 80765 | 12666 | -9950 | 24552 | 5421 | -4259 | 0.30802 | 849 | 28 | 0.03298
2024-01-26 | 21 | 78165 | 12622 | -9620 | 24191 | 5402 | -4118 | 0.31386 | 758 | 33 | 0.043536
2024-01-26 | 22 | 75732 | 12150 | -9256 | 24146 | 5200 | -3961 | 0.32286 | 799 | 57 | 0.071339
2024-01-26 | 23 | 72537 | 11714 | -8962 | 23858 | 5014 | -3836 | 0.33253 | 447 | 0 | 0
2024-01-26 | 24 | 69333 | 11852 | -8938 | 23431 | 5073 | -3825 | 0.34159 | 729 | 42 | 0.057613
2024-01-27 | 1 | 66334 | 12284 | -9002 | 22195 | 5258 | -3853 | 0.339 | 603 | 1 | 0.0016584
2024-01-27 | 2 | 64631 | 12063 | -8880 | 21295 | 5163 | -3800 | 0.33412 | 653 | 3 | 0.0045942
2024-01-27 | 3 | 63575 | 12249 | -9070 | 20909 | 5243 | -3882 | 0.33361 | 784 | 0 | 0
2024-01-27 | 4 | 63178 | 12264 | -9088 | 20861 | 5249 | -3890 | 0.33487 | 659 | 0 | 0
2024-01-27 | 5 | 64203 | 12376 | -9217 | 21001 | 5297 | -3945 | 0.33183 | 605 | 1 | 0.0016529
2024-01-27 | 6 | 66437 | 12767 | -9576 | 21373 | 5464 | -4098 | 0.32658 | 561 | 0 | 0
2024-01-27 | 7 | 57620 | 10427 | -7681 | 17574 | 4463 | -3288 | 0.31059 | 746 | 8 | 0.010724
2024-01-27 | 8 | 59052 | 10707 | -8129 | 16278 | 4583 | -3479 | 0.28204 | 391 | 15 | 0.038363
2024-01-27 | 9 | 70905 | 11958 | -9483 | 16405 | 5118 | -4059 | 0.23799 | 75 | 0 | 0
2024-01-27 | 10 | 69613 | 11815 | -9259 | 15017 | 5057 | -3963 | 0.22324 | 0 | 0 | 0
2024-01-27 | 11 | 68522 | 12421 | -9948 | 14765 | 5316 | -4258 | 0.22287 | 0 | 0 | 0
2024-01-27 | 12 | 67933 | 12516 | -10292 | 14621 | 5357 | -4405 | 0.22197 | 0 | 0 | 0
2024-01-27 | 13 | 67318 | 12812 | -10845 | 14706 | 5483 | -4641 | 0.22441 | 0 | 0 | 0
2024-01-27 | 14 | 66578 | 12445 | -10429 | 14769 | 5326 | -4464 | 0.22788 | 0 | 0 | 0
2024-01-27 | 15 | 68132 | 12507 | -10506 | 15209 | 5353 | -4496 | 0.22908 | 0 | 0 | 0
2024-01-27 | 16 | 70551 | 12001 | -9540 | 17339 | 5136 | -4083 | 0.2519 | 0 | 0 | 0
2024-01-27 | 17 | 75124 | 12757 | -10078 | 21392 | 5460 | -4313 | 0.28969 | 707 | 0 | 0
2024-01-27 | 18 | 78366 | 13112 | -10421 | 22854 | 5612 | -4460 | 0.29616 | 966 | 2 | 0.0020704
2024-01-27 | 19 | 77922 | 13213 | -10248 | 22922 | 5655 | -4386 | 0.29907 | 1109 | 0 | 0
2024-01-27 | 20 | 75794 | 13351 | -10090 | 22495 | 5714 | -4319 | 0.30219 | 885 | 1 | 0.0011299
2024-01-27 | 21 | 73983 | 13134 | -10087 | 22223 | 5622 | -4317 | 0.30544 | 741 | 7 | 0.0094467
2024-01-27 | 22 | 71217 | 13229 | -9971 | 22449 | 5662 | -4268 | 0.32015 | 700 | 0 | 0
2024-01-27 | 23 | 68438 | 12846 | -9910 | 22216 | 5498 | -4241 | 0.32887 | 668 | 0 | 0
2024-01-27 | 24 | 65419 | 12834 | -9854 | 21056 | 5493 | -4217 | 0.3265 | 726 | 11 | 0.015152
2024-01-28 | 1 | 63538 | 13117 | -10499 | 20107 | 5614 | -4494 | 0.32086 | 566 | 40 | 0.070671
2024-01-28 | 2 | 62132 | 13180 | -10624 | 19625 | 5641 | -4547 | 0.32029 | 647 | 76 | 0.11747
2024-01-28 | 3 | 61264 | 13168 | -10705 | 19314 | 5636 | -4582 | 0.31961 | 531 | 0 | 0
2024-01-28 | 4 | 61073 | 12936 | -10561 | 19166 | 5537 | -4520 | 0.3181 | 518 | 0 | 0
2024-01-28 | 5 | 61494 | 13283 | -10739 | 19162 | 5685 | -4596 | 0.31623 | 545 | 0 | 0
2024-01-28 | 6 | 63116 | 13613 | -10953 | 19340 | 5827 | -4688 | 0.31134 | 590 | 16 | 0.027119
2024-01-28 | 7 | 65858 | 13734 | -11197 | 19537 | 5878 | -4792 | 0.30153 | 656 | 59 | 0.089939
2024-01-28 | 8 | 67217 | 13705 | -11033 | 18189 | 5866 | -4722 | 0.27662 | 823 | 79 | 0.09599
2024-01-28 | 9 | 67696 | 13123 | -11112 | 15638 | 5616 | -4756 | 0.23668 | 212 | 0 | 0
2024-01-28 | 10 | 66642 | 12312 | -10504 | 14207 | 5270 | -4496 | 0.21886 | 0 | 0 | 0
2024-01-28 | 11 | 65111 | 12593 | -10819 | 13682 | 5390 | -4630 | 0.21592 | 0 | 0 | 0
2024-01-28 | 12 | 63887 | 12406 | -10693 | 13561 | 5310 | -4577 | 0.2179 | 0 | 0 | 0
2024-01-28 | 13 | 63482 | 12236 | -10424 | 13541 | 5237 | -4462 | 0.21925 | 0 | 0 | 0
2024-01-28 | 14 | 63558 | 12681 | -10597 | 13637 | 5427 | -4535 | 0.22134 | 0 | 0 | 0
2024-01-28 | 15 | 65231 | 13198 | -11075 | 14480 | 5649 | -4740 | 0.22848 | 0 | 0 | 0
2024-01-28 | 16 | 67250 | 13030 | -10317 | 16162 | 5577 | -4416 | 0.2476 | 0 | 0 | 0
2024-01-28 | 17 | 72235 | 13591 | -10818 | 20368 | 5817 | -4630 | 0.28737 | 241 | 0 | 0
2024-01-28 | 18 | 76892 | 13740 | -11032 | 22639 | 5881 | -4722 | 0.29897 | 662 | 18 | 0.02719
2024-01-28 | 19 | 77249 | 13517 | -11045 | 22972 | 5785 | -4727 | 0.30143 | 621 | 0 | 0
2024-01-28 | 20 | 75926 | 13779 | -11303 | 22750 | 5898 | -4838 | 0.30369 | 910 | 0 | 0
2024-01-28 | 21 | 74035 | 13699 | -11109 | 22150 | 5863 | -4755 | 0.30353 | 765 | 2 | 0.0026144
2024-01-28 | 22 | 70563 | 13825 | -11040 | 21799 | 5917 | -4725 | 0.31345 | 719 | 40 | 0.055633
2024-01-28 | 23 | 67015 | 13218 | -10538 | 21210 | 5658 | -4510 | 0.3208 | 608 | 0 | 0
2024-01-28 | 24 | 63385 | 12774 | -9933 | 20252 | 5467 | -4251 | 0.32416 | 739 | 20 | 0.027064
2024-01-29 | 1 | 61503 | 12752 | -9997 | 19853 | 5458 | -4279 | 0.32731 | 1054 | 87 | 0.082543
2024-01-29 | 2 | 60697 | 12476 | -10138 | 19733 | 5340 | -4339 | 0.32893 | 974 | 111 | 0.11396
2024-01-29 | 3 | 60342 | 12495 | -10227 | 19690 | 5348 | -4377 | 0.33 | 739 | 12 | 0.016238
2024-01-29 | 4 | 61053 | 12774 | -10456 | 20330 | 5467 | -4475 | 0.33646 | 645 | 1 | 0.0015504
2024-01-29 | 5 | 63781 | 12597 | -10262 | 21011 | 5392 | -4392 | 0.33291 | 525 | 6 | 0.011429
2024-01-29 | 6 | 68885 | 12672 | -10064 | 22175 | 5424 | -4307 | 0.32579 | 524 | 4 | 0.0076336
2024-01-29 | 7 | 74545 | 13616 | -10404 | 22988 | 5828 | -4453 | 0.31332 | 629 | 1 | 0.0015898
2024-01-29 | 8 | 76824 | 13759 | -10372 | 22194 | 5889 | -4439 | 0.29477 | 731 | 5 | 0.0068399
2024-01-29 | 9 | 74808 | 13009 | -9891 | 18025 | 5568 | -4233 | 0.24844 | 298 | 0 | 0
2024-01-29 | 10 | 72337 | 12526 | -9676 | 16156 | 5361 | -4142 | 0.23109 | 0 | 0 | 0
2024-01-29 | 11 | 70745 | 11526 | -9141 | 16129 | 4933 | -3912 | 0.23451 | 0 | 0 | 0
2024-01-29 | 12 | 68414 | 11661 | -9390 | 15659 | 4991 | -4019 | 0.23528 | 0 | 0 | 0
2024-01-29 | 13 | 68248 | 11511 | -9263 | 15439 | 4927 | -3964 | 0.23267 | 0 | 0 | 0
2024-01-29 | 14 | 68783 | 11586 | -9544 | 15391 | 4959 | -4085 | 0.22965 | 0 | 0 | 0
2024-01-29 | 15 | 69814 | 11519 | -9574 | 15511 | 4930 | -4098 | 0.22775 | 0 | 0 | 0
2024-01-29 | 16 | 72336 | 11986 | -10229 | 17205 | 5130 | -4378 | 0.24236 | 0 | 0 | 0
2024-01-29 | 17 | 76541 | 13999 | -11860 | 21734 | 5992 | -5076 | 0.28787 | 391 | 0 | 0
2024-01-29 | 18 | 80970 | 14672 | -12252 | 23609 | 6280 | -5244 | 0.29554 | 959 | 0 | 0
2024-01-29 | 19 | 80916 | 14733 | -12222 | 23911 | 6306 | -5231 | 0.2995 | 1214 | 0 | 0
2024-01-29 | 20 | 78757 | 14831 | -12145 | 23970 | 6348 | -5198 | 0.30844 | 1007 | 0 | 0
2024-01-29 | 21 | 75796 | 14539 | -11391 | 23675 | 6223 | -4875 | 0.31697 | 1280 | 30 | 0.023438
2024-01-29 | 22 | 72654 | 13893 | -10947 | 22892 | 5946 | -4685 | 0.31948 | 1240 | 20 | 0.016129
2024-01-29 | 23 | 68204 | 14406 | -11624 | 22171 | 6166 | -4975 | 0.32911 | 1064 | 0 | 0
2024-01-29 | 24 | 65117 | 14055 | -11514 | 21216 | 6016 | -4928 | 0.32966 | 1276 | 42 | 0.032915
2024-01-30 | 1 | 63465 | 13095 | -11027 | 20449 | 5605 | -4719 | 0.32556 | 1326 | 0 | 0
2024-01-30 | 2 | 62107 | 14094 | -12059 | 20512 | 6032 | -5161 | 0.33337 | 1089 | 0 | 0
2024-01-30 | 3 | 61365 | 14202 | -11996 | 19969 | 6078 | -5134 | 0.32897 | 957 | 0 | 0
2024-01-30 | 4 | 62006 | 13553 | -11370 | 20433 | 5801 | -4866 | 0.33289 | 1103 | 0 | 0
2024-01-30 | 5 | 64346 | 13615 | -11402 | 20622 | 5827 | -4880 | 0.32406 | 804 | 0 | 0
2024-01-30 | 6 | 69081 | 14073 | -11573 | 21638 | 6023 | -4953 | 0.31724 | 456 | 0 | 0
2024-01-30 | 7 | 74930 | 14827 | -11696 | 22404 | 6346 | -5006 | 0.30417 | 671 | 0 | 0
2024-01-30 | 8 | 77399 | 15063 | -11933 | 21389 | 6447 | -5107 | 0.28225 | 866 | 0 | 0
2024-01-30 | 9 | 75198 | 13653 | -11084 | 17537 | 5844 | -4744 | 0.23965 | 103 | 0 | 0
2024-01-30 | 10 | 72895 | 12750 | -10504 | 15790 | 5457 | -4496 | 0.22293 | 0 | 0 | 0
2024-01-30 | 11 | 70246 | 12494 | -10351 | 15225 | 5348 | -4430 | 0.223 | 0 | 0 | 0
2024-01-30 | 12 | 68884 | 12157 | -10262 | 15417 | 5203 | -4392 | 0.22928 | 0 | 0 | 0
2024-01-30 | 13 | 68550 | 12198 | -10264 | 15022 | 5221 | -4393 | 0.22487 | 0 | 0 | 0
2024-01-30 | 14 | 68910 | 12085 | -10434 | 15190 | 5172 | -4466 | 0.22528 | 0 | 0 | 0
2024-01-30 | 15 | 71174 | 11694 | -10602 | 16114 | 5005 | -4538 | 0.22944 | 0 | 0 | 0
2024-01-30 | 16 | 74067 | 11726 | -10662 | 18185 | 5019 | -4564 | 0.2481 | 218 | 0 | 0
2024-01-30 | 17 | 77843 | 13188 | -11720 | 21818 | 5645 | -5016 | 0.28303 | 509 | 0 | 0
2024-01-30 | 18 | 81899 | 13401 | -11930 | 23468 | 5736 | -5106 | 0.28905 | 256 | 0 | 0
2024-01-30 | 19 | 82245 | 13641 | -12278 | 23661 | 5838 | -5255 | 0.28997 | 80 | 0 | 0
2024-01-30 | 20 | 80442 | 14100 | -12502 | 23551 | 6035 | -5351 | 0.2954 | 447 | 0 | 0
2024-01-30 | 21 | 77559 | 14265 | -12384 | 23081 | 6105 | -5300 | 0.30068 | 774 | 0 | 0
2024-01-30 | 22 | 73817 | 13529 | -11451 | 22588 | 5791 | -4901 | 0.30935 | 1031 | 1 | 0.00096993
2024-01-30 | 23 | 69523 | 13926 | -11818 | 21684 | 5960 | -5058 | 0.31531 | 700 | 0 | 0
2024-01-30 | 24 | 66071 | 13411 | -11088 | 21001 | 5740 | -4746 | 0.32159 | 645 | 0 | 0
2024-01-31 | 1 | 63805 | 12492 | -10112 | 20396 | 5347 | -4328 | 0.32356 | 1046 | 7 | 0.0066922
2024-01-31 | 2 | 62446 | 12407 | -10065 | 19965 | 5310 | -4308 | 0.32362 | 1138 | 0 | 0
2024-01-31 | 3 | 62054 | 12020 | -9978 | 19776 | 5145 | -4271 | 0.32217 | 1144 | 0 | 0
2024-01-31 | 4 | 62579 | 11892 | -10128 | 19851 | 5090 | -4335 | 0.32025 | 1139 | 0 | 0
2024-01-31 | 5 | 65400 | 11732 | -10328 | 20465 | 5021 | -4420 | 0.31534 | 1018 | 1 | 0.00098232
2024-01-31 | 6 | 70209 | 12077 | -10638 | 21478 | 5169 | -4553 | 0.30837 | 1066 | 0 | 0
2024-01-31 | 7 | 75949 | 11798 | -10454 | 21903 | 5049 | -4475 | 0.2908 | 986 | 0 | 0
2024-01-31 | 8 | 78933 | 11973 | -10888 | 21124 | 5125 | -4660 | 0.2698 | 937 | 20 | 0.021345
2024-01-31 | 9 | 78377 | 11044 | -10231 | 18745 | 4727 | -4379 | 0.2411 | 771 | 58 | 0.075227
2024-01-31 | 10 | 77572 | 10909 | -10378 | 17910 | 4669 | -4442 | 0.23222 | 512 | 0 | 0
2024-01-31 | 11 | 75356 | 10907 | -10195 | 17592 | 4668 | -4363 | 0.23528 | 767 | 26 | 0.033898
2024-01-31 | 12 | 73916 | 11408 | -10464 | 17352 | 4883 | -4478 | 0.2372 | 599 | 0 | 0
2024-01-31 | 13 | 73843 | 11401 | -10557 | 17708 | 4879 | -4518 | 0.24193 | 638 | 0 | 0
2024-01-31 | 14 | 74337 | 11672 | -10956 | 18034 | 4995 | -4689 | 0.24436 | 993 | 28 | 0.028197
2024-01-31 | 15 | 74988 | 11843 | -10999 | 18520 | 5069 | -4707 | 0.249 | 1239 | 170 | 0.13721
2024-01-31 | 16 | 77185 | 11427 | -10309 | 20366 | 4891 | -4412 | 0.26621 | 1807 | 349 | 0.19314
2024-01-31 | 17 | 80007 | 11931 | -10561 | 22229 | 5106 | -4520 | 0.28036 | 1240 | 116 | 0.093548
2024-01-31 | 18 | 82721 | 12588 | -11042 | 22756 | 5388 | -4726 | 0.2779 | 765 | 58 | 0.075817
2024-01-31 | 19 | 82192 | 13395 | -11362 | 22502 | 5733 | -4863 | 0.27749 | 664 | 0 | 0
2024-01-31 | 20 | 80696 | 13673 | -11625 | 22305 | 5852 | -4975 | 0.28017 | 940 | 0 | 0
2024-01-31 | 21 | 78587 | 13464 | -11358 | 21784 | 5763 | -4861 | 0.28114 | 674 | 0 | 0
2024-01-31 | 22 | 75537 | 13156 | -10952 | 21564 | 5631 | -4687 | 0.28953 | 999 | 40 | 0.04004
2024-01-31 | 23 | 70842 | 13807 | -11616 | 20896 | 5909 | -4972 | 0.29895 | 664 | 0 | 0
2024-01-31 | 24 | 67546 | 13790 | -11618 | 20423 | 5902 | -4973 | 0.30626 | 720 | 0 | 0