## KEY
Average Emissions Rate Calculation
Background:
The CAISO is publishing this metric of an average emissions rate (AER) based on the discussion in the GHG working groups. CAISO discussed the metric at the November 27, 2023 GHG Coordination Working Group. A brief explanation of the methodology is included below:
Methodology:
1) Which resources are reflected in this example AER metric (all schedules are from the 5-minute market)
- All supply resources are included
- All demand response resources are excluded
- All energy storage resources are included (emissions rate used is 0 MTCO2e/MWh)
- Resources that were attributed to serve California are included
2) The AER measures all schedules ie. The total dispatach of the resources and not relative to WEIM base schedule
3) Bilateral transactions are included (emissions rate used is 0.428 MTCO2e/MWh) unless they are resource specific.
4) CAISO filled in missing heat rate and emissions rate data by using wtd averages from existing data
Key
TRADE_DT | Trade date of the reported data in MM/DD/YYYY format
TRADE_HR | Trade hour of the reported data. Data is reported as the "hour-ending", e.g. TRADE_HR = 2 is for the hour-ending 1:59:59AM Pacific time
GEN_MWH | MWh of electricity generation in the WEIM area* (including CAISO)
IMP_MWH | MWh of electricity imports into the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
EXP_MWH | MWh of electricity exports from the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
GEN_GHG | Greenhouse gas emissions in MTCO2e of electricity generation in the WEIM area
IMP_GHG | Greenhouse gas emissions in MTCO2e of electricity imports into the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
EXP_GHG | Greenhouse gas emissions in MTCO2e of electricity exports from the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
AVG_EM_RATE | Average emissions rate calculated as columns G through I divided by columns C through E
ATTR_MWH | MWh of WEIM transfers into California which, by definition, is equal to the sum of the GHG attributions
ATTR_GHG | Greenhouse gas emissions in MTCO2e of WEIM transfers into California (resource-specific)
ATTR_AVG_EM_RATE | Average emissions rate of WEIM transfers into California
CAISO PUBLIC

## SUM_ALL
TRADE_DT | TRADE_HR | GEN_MWH | IMP_MWH | EXP_MWH | GEN_GHG | IMP_GHG | EXP_GHG | AVG_EM_RATE | ATTR_MWH | ATTR_GHG | ATTR_AVG_EM_RATE
2024-02-01 | 1 | 64734 | 14379 | -12240 | 19779 | 6154 | -5239 | 0.30945 | 679 | 0 | 0
2024-02-01 | 2 | 63250 | 14005 | -12046 | 19313 | 5994 | -5156 | 0.30902 | 768 | 0 | 0
2024-02-01 | 3 | 62589 | 13534 | -11882 | 19221 | 5793 | -5085 | 0.31022 | 666 | 0 | 0
2024-02-01 | 4 | 62773 | 13860 | -12184 | 20058 | 5932 | -5215 | 0.32235 | 599 | 0 | 0
2024-02-01 | 5 | 64885 | 13835 | -11946 | 20181 | 5922 | -5113 | 0.31434 | 651 | 0 | 0
2024-02-01 | 6 | 70071 | 13742 | -11893 | 21408 | 5881 | -5090 | 0.30866 | 298 | 0 | 0
2024-02-01 | 7 | 76638 | 12727 | -11487 | 22444 | 5447 | -4917 | 0.295 | 44 | 0 | 0
2024-02-01 | 8 | 79786 | 12323 | -11132 | 22560 | 5274 | -4764 | 0.2849 | 385 | 0 | 0
2024-02-01 | 9 | 80837 | 11663 | -10665 | 22086 | 4992 | -4565 | 0.2751 | 528 | 0 | 0
2024-02-01 | 10 | 79968 | 11153 | -10580 | 21903 | 4773 | -4528 | 0.27499 | 128 | 0 | 0
2024-02-01 | 11 | 78650 | 11256 | -10768 | 21775 | 4817 | -4609 | 0.27778 | 18 | 0 | 0
2024-02-01 | 12 | 76624 | 11122 | -10642 | 22227 | 4760 | -4555 | 0.29093 | 143 | 0 | 0
2024-02-01 | 13 | 76554 | 10600 | -10367 | 21593 | 4537 | -4437 | 0.28251 | 281 | 0 | 0
2024-02-01 | 14 | 76321 | 10818 | -10445 | 21811 | 4630 | -4470 | 0.28648 | 62 | 0 | 0
2024-02-01 | 15 | 76386 | 10789 | -10501 | 22407 | 4618 | -4494 | 0.29385 | 0 | 0 | 0
2024-02-01 | 16 | 77229 | 11390 | -10602 | 22705 | 4875 | -4538 | 0.29535 | 15 | 0 | 0
2024-02-01 | 17 | 78863 | 12210 | -11263 | 23444 | 5226 | -4820 | 0.29883 | 10 | 0 | 0
2024-02-01 | 18 | 82710 | 12551 | -11445 | 24161 | 5372 | -4898 | 0.29392 | 54 | 0 | 0
2024-02-01 | 19 | 83492 | 12880 | -11555 | 24005 | 5512 | -4945 | 0.28971 | 409 | 0 | 0
2024-02-01 | 20 | 81844 | 12991 | -11424 | 24040 | 5560 | -4889 | 0.29626 | 0 | 0 | 0
2024-02-01 | 21 | 79664 | 12728 | -11118 | 24033 | 5447 | -4758 | 0.30418 | 14 | 0 | 0
2024-02-01 | 22 | 76595 | 12479 | -10937 | 23608 | 5341 | -4681 | 0.31058 | 428 | 0 | 0
2024-02-01 | 23 | 71895 | 13670 | -11648 | 22865 | 5851 | -4985 | 0.32105 | 107 | 0 | 0
2024-02-01 | 24 | 68082 | 13587 | -11550 | 22211 | 5815 | -4943 | 0.3292 | 316 | 0 | 0
2024-02-02 | 1 | 65811 | 13002 | -10967 | 21279 | 5565 | -4694 | 0.32647 | 458 | 0 | 0
2024-02-02 | 2 | 64695 | 12929 | -10971 | 20685 | 5534 | -4696 | 0.32291 | 600 | 0 | 0
2024-02-02 | 3 | 63648 | 12985 | -11025 | 20535 | 5558 | -4719 | 0.32578 | 519 | 0 | 0
2024-02-02 | 4 | 63905 | 12723 | -10990 | 20600 | 5446 | -4704 | 0.32515 | 243 | 0 | 0
2024-02-02 | 5 | 66164 | 12957 | -11175 | 20874 | 5545 | -4783 | 0.31843 | 181 | 0 | 0
2024-02-02 | 6 | 71224 | 12829 | -11305 | 21498 | 5491 | -4839 | 0.30448 | 140 | 0 | 0
2024-02-02 | 7 | 77263 | 11672 | -10468 | 22054 | 4996 | -4480 | 0.28764 | 596 | 0 | 0
2024-02-02 | 8 | 80431 | 10883 | -9787 | 21767 | 4658 | -4189 | 0.27274 | 751 | 17 | 0.022636
2024-02-02 | 9 | 80670 | 9828 | -9117 | 19746 | 4206 | -3902 | 0.24637 | 100 | 0 | 0
2024-02-02 | 10 | 78696 | 9235 | -8868 | 17859 | 3953 | -3795 | 0.22788 | 0 | 0 | 0
2024-02-02 | 11 | 76291 | 9328 | -9073 | 16992 | 3992 | -3883 | 0.22341 | 0 | 0 | 0
2024-02-02 | 12 | 74457 | 9493 | -9709 | 16481 | 4063 | -4155 | 0.22075 | 0 | 0 | 0
2024-02-02 | 13 | 72929 | 9521 | -9805 | 16107 | 4075 | -4197 | 0.22004 | 0 | 0 | 0
2024-02-02 | 14 | 72116 | 9276 | -9650 | 15932 | 3970 | -4130 | 0.21984 | 0 | 0 | 0
2024-02-02 | 15 | 72599 | 9392 | -9797 | 15921 | 4020 | -4193 | 0.21813 | 0 | 0 | 0
2024-02-02 | 16 | 73958 | 9064 | -9491 | 16360 | 3880 | -4062 | 0.22002 | 0 | 0 | 0
2024-02-02 | 17 | 78688 | 11069 | -10858 | 19771 | 4738 | -4647 | 0.25174 | 420 | 6 | 0.014286
2024-02-02 | 18 | 83540 | 12373 | -11937 | 21295 | 5296 | -5109 | 0.25581 | 676 | 0 | 0
2024-02-02 | 19 | 84020 | 12812 | -12038 | 21937 | 5483 | -5152 | 0.26261 | 745 | 0 | 0
2024-02-02 | 20 | 82584 | 12578 | -11858 | 22158 | 5383 | -5075 | 0.26969 | 760 | 1 | 0.0013158
2024-02-02 | 21 | 80714 | 12553 | -11861 | 21905 | 5373 | -5077 | 0.27272 | 717 | 4 | 0.0055788
2024-02-02 | 22 | 78405 | 12673 | -12054 | 21671 | 5424 | -5159 | 0.27759 | 729 | 40 | 0.05487
2024-02-02 | 23 | 73797 | 14232 | -13042 | 21041 | 6091 | -5582 | 0.28738 | 220 | 0 | 0
2024-02-02 | 24 | 71084 | 14125 | -13340 | 19967 | 6046 | -5710 | 0.2825 | 235 | 0 | 0
2024-02-03 | 1 | 68446 | 13591 | -12857 | 19334 | 5817 | -5503 | 0.28401 | 365 | 0 | 0
2024-02-03 | 2 | 66341 | 14419 | -13325 | 18503 | 6171 | -5703 | 0.28132 | 0 | 0 | 0
2024-02-03 | 3 | 66452 | 14052 | -13312 | 18389 | 6014 | -5698 | 0.27838 | 298 | 0 | 0
2024-02-03 | 4 | 66130 | 14236 | -13252 | 18400 | 6093 | -5672 | 0.28043 | 412 | 0 | 0
2024-02-03 | 5 | 67590 | 14118 | -13122 | 19027 | 6043 | -5616 | 0.28364 | 433 | 0 | 0
2024-02-03 | 6 | 69589 | 14428 | -13122 | 19602 | 6175 | -5616 | 0.28438 | 226 | 0 | 0
2024-02-03 | 7 | 73100 | 13298 | -12093 | 19891 | 5691 | -5176 | 0.27462 | 674 | 0 | 0
2024-02-03 | 8 | 75006 | 12646 | -11476 | 19085 | 5413 | -4912 | 0.25712 | 496 | 0 | 0
2024-02-03 | 9 | 75034 | 11558 | -10549 | 16117 | 4947 | -4515 | 0.21763 | 0 | 0 | 0
2024-02-03 | 10 | 73811 | 10704 | -10108 | 14757 | 4581 | -4326 | 0.20176 | 0 | 0 | 0
2024-02-03 | 11 | 71446 | 11065 | -10187 | 14528 | 4736 | -4360 | 0.20607 | 0 | 0 | 0
2024-02-03 | 12 | 69667 | 11638 | -10425 | 13952 | 4981 | -4462 | 0.20416 | 0 | 0 | 0
2024-02-03 | 13 | 68448 | 11771 | -10964 | 13924 | 5038 | -4693 | 0.20604 | 0 | 0 | 0
2024-02-03 | 14 | 68606 | 11819 | -11182 | 14040 | 5059 | -4786 | 0.20671 | 0 | 0 | 0
2024-02-03 | 15 | 69738 | 11938 | -11179 | 14341 | 5109 | -4784 | 0.20804 | 0 | 0 | 0
2024-02-03 | 16 | 71847 | 11671 | -10469 | 16326 | 4995 | -4481 | 0.23053 | 16 | 0 | 0
2024-02-03 | 17 | 75376 | 13394 | -11183 | 19863 | 5732 | -4786 | 0.2682 | 353 | 2 | 0.0056657
2024-02-03 | 18 | 79404 | 14307 | -11757 | 22116 | 6123 | -5032 | 0.28317 | 672 | 0 | 0
2024-02-03 | 19 | 80124 | 14506 | -11930 | 22702 | 6209 | -5106 | 0.28785 | 705 | 0 | 0
2024-02-03 | 20 | 78925 | 14588 | -12044 | 22517 | 6243 | -5155 | 0.28974 | 589 | 0 | 0
2024-02-03 | 21 | 77436 | 14356 | -11952 | 22377 | 6144 | -5115 | 0.29316 | 491 | 0 | 0
2024-02-03 | 22 | 75697 | 14221 | -11996 | 22155 | 6086 | -5134 | 0.29654 | 629 | 0 | 0
2024-02-03 | 23 | 72836 | 14516 | -12252 | 22215 | 6213 | -5244 | 0.30871 | 323 | 0 | 0
2024-02-03 | 24 | 69937 | 14413 | -12192 | 21732 | 6169 | -5218 | 0.31435 | 402 | 0 | 0
2024-02-04 | 1 | 67982 | 13348 | -11078 | 21429 | 5713 | -4741 | 0.31887 | 575 | 0 | 0
2024-02-04 | 2 | 67003 | 13143 | -10803 | 20845 | 5625 | -4624 | 0.31504 | 700 | 0 | 0
2024-02-04 | 3 | 66329 | 12948 | -10663 | 21051 | 5542 | -4564 | 0.32106 | 713 | 0 | 0
2024-02-04 | 4 | 66171 | 12919 | -10625 | 20975 | 5529 | -4548 | 0.32069 | 693 | 0 | 0
2024-02-04 | 5 | 67196 | 13000 | -10594 | 21041 | 5564 | -4534 | 0.3171 | 671 | 0 | 0
2024-02-04 | 6 | 69023 | 13084 | -10708 | 21428 | 5600 | -4583 | 0.31436 | 397 | 0 | 0
2024-02-04 | 7 | 71420 | 12692 | -10611 | 21532 | 5432 | -4542 | 0.30506 | 895 | 0 | 0
2024-02-04 | 8 | 73909 | 12048 | -10441 | 21300 | 5156 | -4469 | 0.29116 | 480 | 1 | 0.0020833
2024-02-04 | 9 | 76116 | 11445 | -10459 | 20327 | 4899 | -4476 | 0.26912 | 267 | 0 | 0
2024-02-04 | 10 | 76092 | 11172 | -10355 | 19094 | 4781 | -4432 | 0.25281 | 0 | 0 | 0
2024-02-04 | 11 | 74052 | 11430 | -10438 | 17776 | 4892 | -4467 | 0.24254 | 0 | 0 | 0
2024-02-04 | 12 | 72376 | 10892 | -9937 | 17434 | 4662 | -4253 | 0.24332 | 0 | 0 | 0
2024-02-04 | 13 | 72024 | 11269 | -10718 | 16941 | 4823 | -4587 | 0.23668 | 0 | 0 | 0
2024-02-04 | 14 | 71711 | 11500 | -10979 | 16968 | 4922 | -4699 | 0.238 | 28 | 0 | 0
2024-02-04 | 15 | 73085 | 12172 | -11831 | 17671 | 5209 | -5064 | 0.24264 | 17 | 0 | 0
2024-02-04 | 16 | 75743 | 12678 | -11888 | 19441 | 5426 | -5088 | 0.25844 | 18 | 0 | 0
2024-02-04 | 17 | 78314 | 13413 | -12472 | 21809 | 5741 | -5338 | 0.28026 | 144 | 0 | 0
2024-02-04 | 18 | 82707 | 13118 | -12019 | 22780 | 5614 | -5144 | 0.27743 | 456 | 0 | 0
2024-02-04 | 19 | 82956 | 13117 | -11953 | 23277 | 5614 | -5116 | 0.28263 | 622 | 0 | 0
2024-02-04 | 20 | 81673 | 12814 | -11668 | 23558 | 5484 | -4994 | 0.29037 | 600 | 0 | 0
2024-02-04 | 21 | 79526 | 12862 | -11598 | 23541 | 5505 | -4964 | 0.29808 | 678 | 5 | 0.0073746
2024-02-04 | 22 | 75942 | 12913 | -11479 | 23066 | 5527 | -4913 | 0.30604 | 962 | 0 | 0
2024-02-04 | 23 | 72201 | 12223 | -10823 | 22972 | 5231 | -4632 | 0.32025 | 470 | 12 | 0.025532
2024-02-04 | 24 | 68587 | 12634 | -10622 | 22332 | 5407 | -4546 | 0.32852 | 537 | 17 | 0.031657
2024-02-05 | 1 | 66413 | 12317 | -10105 | 22389 | 5272 | -4325 | 0.34005 | 710 | 4 | 0.0056338
2024-02-05 | 2 | 65434 | 12113 | -10013 | 21824 | 5184 | -4286 | 0.33645 | 600 | 5 | 0.0083333
2024-02-05 | 3 | 64672 | 12127 | -9971 | 21502 | 5190 | -4267 | 0.33556 | 805 | 51 | 0.063354
2024-02-05 | 4 | 65472 | 11932 | -9868 | 21728 | 5107 | -4223 | 0.33481 | 741 | 12 | 0.016194
2024-02-05 | 5 | 68449 | 11724 | -9803 | 22240 | 5018 | -4196 | 0.32772 | 576 | 0 | 0
2024-02-05 | 6 | 73474 | 11676 | -9906 | 22939 | 4997 | -4240 | 0.31492 | 22 | 0 | 0
2024-02-05 | 7 | 78911 | 11982 | -10062 | 23837 | 5128 | -4306 | 0.30507 | 0 | 0 | 0
2024-02-05 | 8 | 82355 | 12159 | -10314 | 23773 | 5204 | -4414 | 0.29172 | 879 | 67 | 0.076223
2024-02-05 | 9 | 83276 | 11345 | -10117 | 23327 | 4856 | -4330 | 0.28227 | 680 | 22 | 0.032353
2024-02-05 | 10 | 82798 | 10797 | -9946 | 22821 | 4621 | -4257 | 0.27717 | 5 | 0 | 0
2024-02-05 | 11 | 81696 | 10601 | -9890 | 22447 | 4537 | -4233 | 0.27608 | 44 | 0 | 0
2024-02-05 | 12 | 81434 | 10691 | -9934 | 22346 | 4576 | -4252 | 0.27582 | 346 | 1 | 0.0028902
2024-02-05 | 13 | 81548 | 11017 | -10076 | 22446 | 4715 | -4312 | 0.27699 | 705 | 1 | 0.0014184
2024-02-05 | 14 | 54366 | 7384 | -6769 | 15281 | 3160 | -2897 | 0.28272 | 645 | 2 | 0.0031008
2024-02-05 | 15 | 81698 | 11126 | -10116 | 23726 | 4762 | -4330 | 0.29209 | 1106 | 132 | 0.11935
2024-02-05 | 16 | 81671 | 11248 | -10219 | 24040 | 4814 | -4374 | 0.29601 | 1324 | 209 | 0.15785
2024-02-05 | 17 | 83108 | 12258 | -10713 | 24966 | 5247 | -4585 | 0.30274 | 782 | 41 | 0.05243
2024-02-05 | 18 | 86441 | 12938 | -11303 | 25996 | 5538 | -4838 | 0.3031 | 899 | 135 | 0.15017
2024-02-05 | 19 | 86316 | 13406 | -11668 | 25911 | 5738 | -4994 | 0.30271 | 1232 | 265 | 0.2151
2024-02-05 | 20 | 84295 | 13662 | -11753 | 25697 | 5847 | -5030 | 0.30757 | 1219 | 117 | 0.09598
2024-02-05 | 21 | 61263 | 10024 | -8620 | 18837 | 4290 | -3689 | 0.31018 | 671 | 1 | 0.0014903
2024-02-05 | 22 | 77801 | 12639 | -10747 | 24442 | 5410 | -4600 | 0.31687 | 799 | 1 | 0.0012516
2024-02-05 | 23 | 73710 | 11592 | -10015 | 24128 | 4961 | -4287 | 0.32943 | 0 | 0 | 0
2024-02-05 | 24 | 70263 | 11401 | -9862 | 23573 | 4880 | -4221 | 0.33748 | 261 | 0 | 0
2024-02-06 | 1 | 67615 | 11710 | -9818 | 22256 | 5012 | -4202 | 0.33185 | 424 | 11 | 0.025943
2024-02-06 | 2 | 66238 | 11509 | -9593 | 22036 | 4926 | -4106 | 0.33536 | 285 | 1 | 0.0035088
2024-02-06 | 3 | 65309 | 11415 | -9461 | 21975 | 4886 | -4049 | 0.33915 | 279 | 0 | 0
2024-02-06 | 4 | 66226 | 11538 | -9632 | 22141 | 4938 | -4123 | 0.33693 | 48 | 0 | 0
2024-02-06 | 5 | 68089 | 11690 | -9594 | 22487 | 5003 | -4106 | 0.33318 | 150 | 0 | 0
2024-02-06 | 6 | 72224 | 12264 | -9720 | 23368 | 5249 | -4160 | 0.32711 | 80 | 0 | 0
2024-02-06 | 7 | 78474 | 12801 | -10315 | 24227 | 5479 | -4415 | 0.31239 | 174 | 0 | 0
2024-02-06 | 8 | 82693 | 13018 | -10757 | 24584 | 5572 | -4604 | 0.30077 | 708 | 66 | 0.09322
2024-02-06 | 9 | 83913 | 12144 | -10406 | 24395 | 5198 | -4454 | 0.29351 | 517 | 28 | 0.054159
2024-02-06 | 10 | 83442 | 12338 | -10371 | 24287 | 5280 | -4439 | 0.29421 | 342 | 19 | 0.055556
2024-02-06 | 11 | 82168 | 11729 | -9993 | 24008 | 5020 | -4277 | 0.29499 | 22 | 1 | 0.045455
2024-02-06 | 12 | 79531 | 11670 | -10045 | 23564 | 4995 | -4299 | 0.29893 | 0 | 0 | 0
2024-02-06 | 13 | 79955 | 12114 | -10685 | 23255 | 5185 | -4573 | 0.29326 | 0 | 0 | 0
2024-02-06 | 14 | 79196 | 12213 | -10850 | 23269 | 5227 | -4644 | 0.29608 | 0 | 0 | 0
2024-02-06 | 15 | 78319 | 12197 | -10619 | 23620 | 5220 | -4545 | 0.30408 | 40 | 1 | 0.025
2024-02-06 | 16 | 79115 | 12436 | -10523 | 24081 | 5323 | -4504 | 0.3073 | 464 | 2 | 0.0043103
2024-02-06 | 17 | 81940 | 13492 | -11565 | 24746 | 5775 | -4950 | 0.3049 | 248 | 2 | 0.0080645
2024-02-06 | 18 | 85042 | 14100 | -12109 | 25192 | 6035 | -5183 | 0.29924 | 233 | 6 | 0.025751
2024-02-06 | 19 | 86132 | 14320 | -12226 | 25249 | 6129 | -5233 | 0.29634 | 283 | 0 | 0
2024-02-06 | 20 | 84747 | 13855 | -11765 | 24893 | 5930 | -5035 | 0.29697 | 533 | 0 | 0
2024-02-06 | 21 | 82822 | 13526 | -11480 | 24457 | 5789 | -4913 | 0.2985 | 504 | 0 | 0
2024-02-06 | 22 | 79444 | 13484 | -11513 | 24213 | 5771 | -4928 | 0.30776 | 403 | 0 | 0
2024-02-06 | 23 | 75311 | 12714 | -10798 | 24004 | 5442 | -4622 | 0.32144 | 113 | 0 | 0
2024-02-06 | 24 | 71174 | 12701 | -10775 | 23033 | 5436 | -4611 | 0.32637 | 418 | 0 | 0
2024-02-07 | 1 | 69401 | 10780 | -9704 | 22340 | 4614 | -4153 | 0.32352 | 169 | 0 | 0
2024-02-07 | 2 | 67944 | 10555 | -9508 | 21736 | 4517 | -4070 | 0.32153 | 258 | 1 | 0.003876
2024-02-07 | 3 | 67353 | 10543 | -9518 | 21618 | 4512 | -4074 | 0.32256 | 402 | 1 | 0.0024876
2024-02-07 | 4 | 67742 | 10681 | -9703 | 21646 | 4572 | -4153 | 0.32109 | 62 | 0 | 0
2024-02-07 | 5 | 70183 | 10975 | -9933 | 21984 | 4697 | -4251 | 0.31492 | 0 | 0 | 0
2024-02-07 | 6 | 75677 | 11012 | -10285 | 22468 | 4713 | -4402 | 0.29814 | 0 | 0 | 0
2024-02-07 | 7 | 82433 | 11160 | -10457 | 23335 | 4777 | -4475 | 0.28432 | 90 | 0 | 0
2024-02-07 | 8 | 86180 | 11228 | -10610 | 23414 | 4806 | -4541 | 0.27281 | 388 | 21 | 0.054124
2024-02-07 | 9 | 85662 | 10547 | -10380 | 21136 | 4514 | -4443 | 0.24708 | 0 | 0 | 0
2024-02-07 | 10 | 84441 | 10351 | -10201 | 19740 | 4430 | -4366 | 0.23411 | 0 | 0 | 0
2024-02-07 | 11 | 82686 | 10645 | -10281 | 19117 | 4556 | -4400 | 0.23207 | 0 | 0 | 0
2024-02-07 | 12 | 81123 | 10695 | -10238 | 18727 | 4577 | -4382 | 0.23194 | 0 | 0 | 0
2024-02-07 | 13 | 80035 | 10495 | -10143 | 18543 | 4492 | -4341 | 0.23255 | 0 | 0 | 0
2024-02-07 | 14 | 79620 | 10235 | -9903 | 18664 | 4381 | -4239 | 0.23522 | 0 | 0 | 0
2024-02-07 | 15 | 79529 | 10270 | -9883 | 19224 | 4395 | -4230 | 0.24262 | 232 | 1 | 0.0043103
2024-02-07 | 16 | 79914 | 10848 | -10048 | 19488 | 4643 | -4301 | 0.24568 | 41 | 0 | 0
2024-02-07 | 17 | 83615 | 11280 | -10357 | 22275 | 4828 | -4433 | 0.26816 | 451 | 2 | 0.0044346
2024-02-07 | 18 | 88388 | 11819 | -10873 | 23848 | 5059 | -4654 | 0.27149 | 153 | 1 | 0.0065359
2024-02-07 | 19 | 89399 | 12017 | -11196 | 24177 | 5143 | -4792 | 0.27187 | 702 | 1 | 0.0014245
2024-02-07 | 20 | 88123 | 12590 | -11543 | 24107 | 5389 | -4940 | 0.27538 | 822 | 20 | 0.024331
2024-02-07 | 21 | 86170 | 11898 | -10791 | 23818 | 5092 | -4619 | 0.27832 | 1277 | 185 | 0.14487
2024-02-07 | 22 | 82496 | 11902 | -10746 | 23113 | 5094 | -4599 | 0.28222 | 1453 | 248 | 0.17068
2024-02-07 | 23 | 78028 | 12383 | -11270 | 22662 | 5300 | -4823 | 0.29238 | 401 | 15 | 0.037406
2024-02-07 | 24 | 73984 | 11796 | -10634 | 21952 | 5049 | -4551 | 0.29875 | 729 | 0 | 0
2024-02-08 | 1 | 71487 | 12790 | -11609 | 21291 | 5474 | -4969 | 0.29994 | 651 | 0 | 0
2024-02-08 | 2 | 70072 | 12982 | -11915 | 20937 | 5556 | -5100 | 0.30072 | 549 | 1 | 0.0018215
2024-02-08 | 3 | 69528 | 13168 | -12148 | 20574 | 5636 | -5200 | 0.29781 | 492 | 18 | 0.036585
2024-02-08 | 4 | 70362 | 13166 | -12222 | 20787 | 5635 | -5231 | 0.29718 | 572 | 0 | 0
2024-02-08 | 5 | 73050 | 13521 | -12628 | 21522 | 5787 | -5405 | 0.29623 | 415 | 3 | 0.0072289
2024-02-08 | 6 | 78307 | 13659 | -12840 | 22313 | 5846 | -5495 | 0.28643 | 273 | 0 | 0
2024-02-08 | 7 | 85048 | 12465 | -11921 | 22803 | 5335 | -5102 | 0.26914 | 1050 | 32 | 0.030476
2024-02-08 | 8 | 87550 | 12896 | -11990 | 21757 | 5519 | -5132 | 0.25034 | 1182 | 97 | 0.082064
2024-02-08 | 9 | 85580 | 11639 | -11154 | 19053 | 4981 | -4774 | 0.22378 | 287 | 2 | 0.0069686
2024-02-08 | 10 | 82494 | 10947 | -10613 | 17062 | 4686 | -4542 | 0.20773 | 0 | 0 | 0
2024-02-08 | 11 | 80148 | 10754 | -10395 | 16608 | 4603 | -4449 | 0.20821 | 0 | 0 | 0
2024-02-08 | 12 | 78713 | 10493 | -10361 | 16170 | 4491 | -4434 | 0.20581 | 0 | 0 | 0
2024-02-08 | 13 | 77843 | 10845 | -10663 | 16296 | 4642 | -4564 | 0.20986 | 0 | 0 | 0
2024-02-08 | 14 | 77998 | 10920 | -10760 | 16125 | 4674 | -4605 | 0.2072 | 0 | 0 | 0
2024-02-08 | 15 | 78225 | 11108 | -10869 | 16554 | 4754 | -4652 | 0.21228 | 0 | 0 | 0
2024-02-08 | 16 | 79937 | 11778 | -11105 | 17449 | 5041 | -4753 | 0.22003 | 0 | 0 | 0
2024-02-08 | 17 | 83309 | 12874 | -12151 | 20679 | 5510 | -5201 | 0.24976 | 198 | 1 | 0.0050505
2024-02-08 | 18 | 88932 | 13533 | -12629 | 23262 | 5792 | -5405 | 0.26325 | 708 | 4 | 0.0056497
2024-02-08 | 19 | 90401 | 14579 | -13501 | 23863 | 6240 | -5779 | 0.2659 | 926 | 84 | 0.090713
2024-02-08 | 20 | 89378 | 14521 | -13549 | 24138 | 6215 | -5799 | 0.27177 | 897 | 9 | 0.010033
2024-02-08 | 21 | 86907 | 14238 | -12929 | 24099 | 6094 | -5534 | 0.27953 | 1135 | 50 | 0.044053
2024-02-08 | 22 | 83843 | 13987 | -12986 | 23845 | 5986 | -5558 | 0.28609 | 1283 | 149 | 0.11613
2024-02-08 | 23 | 79079 | 14266 | -13355 | 23223 | 6106 | -5716 | 0.2952 | 478 | 4 | 0.0083682
2024-02-08 | 24 | 74800 | 13669 | -12667 | 22695 | 5850 | -5421 | 0.30506 | 101 | 0 | 0
2024-02-09 | 1 | 72508 | 12833 | -11515 | 22732 | 5493 | -4929 | 0.31555 | 478 | 28 | 0.058577
2024-02-09 | 2 | 71274 | 12625 | -11258 | 22597 | 5404 | -4819 | 0.31913 | 536 | 1 | 0.0018657
2024-02-09 | 3 | 70238 | 12712 | -11130 | 22621 | 5441 | -4764 | 0.32439 | 461 | 1 | 0.0021692
2024-02-09 | 4 | 47316 | 8258 | -7148 | 15422 | 3534 | -3060 | 0.32825 | 36 | 0 | 0
2024-02-09 | 5 | 73554 | 12370 | -10664 | 23777 | 5294 | -4564 | 0.32563 | 0 | 0 | 0
2024-02-09 | 6 | 78447 | 12522 | -10703 | 24075 | 5359 | -4581 | 0.30963 | 0 | 0 | 0
2024-02-09 | 7 | 84886 | 12710 | -11339 | 24007 | 5440 | -4853 | 0.28512 | 579 | 0 | 0
2024-02-09 | 8 | 87555 | 12351 | -10988 | 23610 | 5286 | -4703 | 0.27208 | 603 | 26 | 0.043118
2024-02-09 | 9 | 86764 | 11703 | -10521 | 21583 | 5009 | -4503 | 0.25117 | 0 | 0 | 0
2024-02-09 | 10 | 83746 | 11009 | -10239 | 19366 | 4712 | -4382 | 0.23304 | 0 | 0 | 0
2024-02-09 | 11 | 79401 | 11040 | -10255 | 17652 | 4725 | -4389 | 0.22433 | 0 | 0 | 0
2024-02-09 | 12 | 76255 | 11297 | -10462 | 17431 | 4835 | -4478 | 0.23074 | 0 | 0 | 0
2024-02-09 | 13 | 75539 | 11205 | -10486 | 17668 | 4796 | -4488 | 0.23573 | 0 | 0 | 0
2024-02-09 | 14 | 75255 | 11283 | -10545 | 17985 | 4829 | -4513 | 0.24082 | 0 | 0 | 0
2024-02-09 | 15 | 75585 | 10865 | -9924 | 18514 | 4650 | -4247 | 0.2472 | 0 | 0 | 0
2024-02-09 | 16 | 77269 | 10706 | -9615 | 19931 | 4582 | -4115 | 0.26031 | 0 | 0 | 0
2024-02-09 | 17 | 80750 | 10811 | -9640 | 22692 | 4627 | -4126 | 0.28311 | 0 | 0 | 0
2024-02-09 | 18 | 85184 | 11760 | -10376 | 24127 | 5033 | -4441 | 0.28554 | 478 | 0 | 0
2024-02-09 | 19 | 86467 | 12139 | -10426 | 24403 | 5195 | -4462 | 0.28505 | 674 | 0 | 0
2024-02-09 | 20 | 84932 | 12328 | -10375 | 24641 | 5276 | -4440 | 0.29323 | 562 | 0 | 0
2024-02-09 | 21 | 82908 | 11928 | -9796 | 24630 | 5105 | -4193 | 0.30035 | 594 | 0 | 0
2024-02-09 | 22 | 80978 | 11290 | -9227 | 24664 | 4832 | -3949 | 0.30764 | 613 | 7 | 0.011419
2024-02-09 | 23 | 77443 | 10411 | -8479 | 24310 | 4456 | -3629 | 0.31669 | 391 | 0 | 0
2024-02-09 | 24 | 74127 | 10204 | -8270 | 23968 | 4367 | -3540 | 0.32599 | 23 | 0 | 0
2024-02-10 | 1 | 71792 | 10001 | -7952 | 23508 | 4280 | -3403 | 0.33024 | 0 | 0 | 0
2024-02-10 | 2 | 70069 | 10247 | -8076 | 23157 | 4386 | -3456 | 0.33343 | 0 | 0 | 0
2024-02-10 | 3 | 69019 | 10309 | -8044 | 23256 | 4412 | -3443 | 0.33984 | 1 | 0 | 0
2024-02-10 | 4 | 69376 | 11068 | -8697 | 23506 | 4737 | -3722 | 0.34177 | 689 | 2 | 0.0029028
2024-02-10 | 5 | 70339 | 11352 | -8861 | 23910 | 4859 | -3793 | 0.34294 | 462 | 2 | 0.004329
2024-02-10 | 6 | 72842 | 11255 | -8813 | 24316 | 4817 | -3772 | 0.33687 | 735 | 57 | 0.077551
2024-02-10 | 7 | 75989 | 12166 | -9539 | 24717 | 5207 | -4083 | 0.3287 | 1464 | 327 | 0.22336
2024-02-10 | 8 | 77656 | 12691 | -9557 | 24239 | 5432 | -4090 | 0.31664 | 785 | 88 | 0.1121
2024-02-10 | 9 | 77326 | 12952 | -10040 | 21680 | 5543 | -4297 | 0.28572 | 0 | 0 | 0
2024-02-10 | 10 | 75592 | 13279 | -10580 | 19180 | 5684 | -4528 | 0.25975 | 0 | 0 | 0
2024-02-10 | 11 | 71222 | 12951 | -10289 | 17141 | 5543 | -4404 | 0.24741 | 0 | 0 | 0
2024-02-10 | 12 | 67897 | 12943 | -10276 | 16016 | 5540 | -4398 | 0.24316 | 0 | 0 | 0
2024-02-10 | 13 | 65611 | 12671 | -10225 | 15414 | 5423 | -4376 | 0.24187 | 0 | 0 | 0
2024-02-10 | 14 | 63938 | 12600 | -10123 | 15139 | 5393 | -4333 | 0.24391 | 0 | 0 | 0
2024-02-10 | 15 | 64670 | 11945 | -9679 | 15153 | 5112 | -4143 | 0.24086 | 0 | 0 | 0
2024-02-10 | 16 | 67494 | 12058 | -9701 | 16302 | 5161 | -4152 | 0.24783 | 0 | 0 | 0
2024-02-10 | 17 | 72911 | 12173 | -9531 | 20265 | 5210 | -4079 | 0.28319 | 37 | 0 | 0
2024-02-10 | 18 | 79247 | 12974 | -10422 | 23482 | 5553 | -4460 | 0.30043 | 489 | 0 | 0
2024-02-10 | 19 | 80999 | 13117 | -10488 | 24395 | 5614 | -4489 | 0.30516 | 671 | 0 | 0
2024-02-10 | 20 | 79587 | 13355 | -10571 | 24352 | 5716 | -4524 | 0.31011 | 734 | 0 | 0
2024-02-10 | 21 | 78461 | 13068 | -10512 | 24352 | 5593 | -4499 | 0.31408 | 837 | 13 | 0.015532
2024-02-10 | 22 | 76614 | 12563 | -9796 | 24278 | 5377 | -4193 | 0.32076 | 1243 | 126 | 0.10137
2024-02-10 | 23 | 73684 | 11609 | -8623 | 24397 | 4968 | -3691 | 0.33486 | 1029 | 154 | 0.14966
2024-02-10 | 24 | 70987 | 11565 | -8765 | 23654 | 4950 | -3751 | 0.33682 | 1008 | 106 | 0.10516
2024-02-11 | 1 | 69644 | 11581 | -8994 | 23361 | 4957 | -3850 | 0.33875 | 861 | 83 | 0.0964
2024-02-11 | 2 | 68416 | 11535 | -9040 | 22917 | 4937 | -3869 | 0.33824 | 635 | 41 | 0.064567
2024-02-11 | 3 | 67659 | 11677 | -9274 | 22483 | 4998 | -3969 | 0.33559 | 677 | 0 | 0
2024-02-11 | 4 | 67873 | 11825 | -9499 | 22536 | 5061 | -4066 | 0.3352 | 320 | 17 | 0.053125
2024-02-11 | 5 | 68801 | 12193 | -9724 | 22303 | 5219 | -4162 | 0.32777 | 683 | 39 | 0.057101
2024-02-11 | 6 | 71260 | 12426 | -10020 | 22694 | 5318 | -4289 | 0.32203 | 653 | 0 | 0
2024-02-11 | 7 | 74646 | 12363 | -9882 | 22858 | 5291 | -4230 | 0.31012 | 613 | 0 | 0
2024-02-11 | 8 | 75267 | 11812 | -9618 | 20904 | 5056 | -4117 | 0.28199 | 106 | 0 | 0
2024-02-11 | 9 | 74017 | 11668 | -10058 | 16710 | 4994 | -4305 | 0.23006 | 0 | 0 | 0
2024-02-11 | 10 | 72727 | 11292 | -10180 | 15218 | 4833 | -4357 | 0.21254 | 0 | 0 | 0
2024-02-11 | 11 | 70692 | 10899 | -10197 | 14530 | 4665 | -4364 | 0.20773 | 0 | 0 | 0
2024-02-11 | 12 | 68732 | 11025 | -10330 | 14235 | 4718 | -4421 | 0.20931 | 0 | 0 | 0
2024-02-11 | 13 | 67858 | 11056 | -10317 | 14346 | 4732 | -4416 | 0.21374 | 0 | 0 | 0
2024-02-11 | 14 | 67417 | 11025 | -10280 | 14280 | 4719 | -4400 | 0.21418 | 0 | 0 | 0
2024-02-11 | 15 | 67796 | 11238 | -10413 | 14337 | 4810 | -4457 | 0.21407 | 0 | 0 | 0
2024-02-11 | 16 | 69185 | 11665 | -10340 | 15476 | 4993 | -4426 | 0.22753 | 0 | 0 | 0
2024-02-11 | 17 | 71238 | 11284 | -9180 | 18827 | 4830 | -3929 | 0.26899 | 260 | 0 | 0
2024-02-11 | 18 | 76339 | 12240 | -10096 | 22196 | 5239 | -4321 | 0.29451 | 890 | 24 | 0.026966
2024-02-11 | 19 | 78035 | 12502 | -10418 | 22892 | 5351 | -4459 | 0.29686 | 638 | 2 | 0.0031348
2024-02-11 | 20 | 77195 | 12250 | -10132 | 23052 | 5243 | -4337 | 0.30207 | 773 | 0 | 0
2024-02-11 | 21 | 77819 | 11951 | -9845 | 23065 | 5115 | -4213 | 0.29987 | 389 | 1 | 0.0025707
2024-02-11 | 22 | 77100 | 11622 | -9576 | 23596 | 4974 | -4098 | 0.3092 | 395 | 26 | 0.065823
2024-02-11 | 23 | 73254 | 11789 | -9976 | 22823 | 5046 | -4270 | 0.31437 | 848 | 20 | 0.023585
2024-02-11 | 24 | 69625 | 12239 | -10317 | 21737 | 5238 | -4416 | 0.3153 | 931 | 87 | 0.093448
2024-02-12 | 1 | 68432 | 12243 | -10488 | 21361 | 5240 | -4489 | 0.31504 | 893 | 2 | 0.0022396
2024-02-12 | 2 | 50669 | 9290 | -8068 | 15941 | 3976 | -3453 | 0.31728 | 628 | 23 | 0.036624
2024-02-12 | 3 | 67513 | 12630 | -10936 | 21584 | 5405 | -4681 | 0.32234 | 696 | 0 | 0
2024-02-12 | 4 | 68237 | 13124 | -11186 | 21619 | 5617 | -4787 | 0.3199 | 685 | 0 | 0
2024-02-12 | 5 | 70946 | 13450 | -11399 | 21988 | 5756 | -4879 | 0.31323 | 523 | 2 | 0.0038241
2024-02-12 | 6 | 76267 | 13397 | -11569 | 22755 | 5734 | -4952 | 0.30139 | 376 | 3 | 0.0079787
2024-02-12 | 7 | 83102 | 12978 | -11691 | 23143 | 5554 | -5004 | 0.28076 | 706 | 10 | 0.014164
2024-02-12 | 8 | 85206 | 12375 | -11218 | 21151 | 5296 | -4801 | 0.25064 | 566 | 3 | 0.0053004
2024-02-12 | 9 | 82090 | 11586 | -10656 | 16912 | 4959 | -4561 | 0.2085 | 0 | 0 | 0
2024-02-12 | 10 | 78553 | 12192 | -11202 | 15340 | 5218 | -4795 | 0.19817 | 0 | 0 | 0
2024-02-12 | 11 | 75598 | 11817 | -10997 | 14574 | 5058 | -4707 | 0.19531 | 0 | 0 | 0
2024-02-12 | 12 | 72328 | 11659 | -10754 | 14253 | 4990 | -4603 | 0.19991 | 0 | 0 | 0
2024-02-12 | 13 | 70453 | 12323 | -11267 | 14154 | 5274 | -4822 | 0.20425 | 0 | 0 | 0
2024-02-12 | 14 | 70010 | 12881 | -11917 | 14242 | 5513 | -5100 | 0.20648 | 0 | 0 | 0
2024-02-12 | 15 | 70874 | 12531 | -12140 | 14265 | 5363 | -5196 | 0.20251 | 0 | 0 | 0
2024-02-12 | 16 | 72373 | 11582 | -10763 | 14906 | 4957 | -4606 | 0.20845 | 0 | 0 | 0
2024-02-12 | 17 | 77101 | 11392 | -9880 | 18773 | 4876 | -4228 | 0.24705 | 24 | 0 | 0
2024-02-12 | 18 | 83115 | 12031 | -10360 | 21700 | 5149 | -4434 | 0.26437 | 1076 | 0 | 0
2024-02-12 | 19 | 85826 | 12158 | -10419 | 22602 | 5204 | -4459 | 0.26662 | 1248 | 22 | 0.017628
2024-02-12 | 20 | 84746 | 12596 | -10790 | 22712 | 5391 | -4618 | 0.27134 | 1400 | 69 | 0.049286
2024-02-12 | 21 | 82414 | 12520 | -10640 | 22762 | 5359 | -4554 | 0.27958 | 1057 | 132 | 0.12488
2024-02-12 | 22 | 78863 | 12498 | -10368 | 22195 | 5349 | -4438 | 0.28528 | 867 | 32 | 0.036909
2024-02-12 | 23 | 74835 | 11841 | -9960 | 21943 | 5068 | -4263 | 0.29652 | 518 | 0 | 0
2024-02-12 | 24 | 71183 | 11720 | -9852 | 21104 | 5016 | -4217 | 0.29983 | 461 | 0 | 0
2024-02-13 | 1 | 69103 | 10963 | -9002 | 21671 | 4692 | -3853 | 0.31676 | 309 | 0 | 0
2024-02-13 | 2 | 67618 | 11152 | -9017 | 21475 | 4773 | -3859 | 0.32098 | 392 | 0 | 0
2024-02-13 | 3 | 67088 | 11224 | -8998 | 21603 | 4804 | -3851 | 0.32542 | 0 | 0 | 0
2024-02-13 | 4 | 67720 | 11307 | -8974 | 21989 | 4840 | -3841 | 0.32815 | 0 | 0 | 0
2024-02-13 | 5 | 71062 | 11315 | -9144 | 22557 | 4843 | -3913 | 0.32072 | 0 | 0 | 0
2024-02-13 | 6 | 77386 | 11581 | -9746 | 23059 | 4957 | -4171 | 0.30099 | 0 | 0 | 0
2024-02-13 | 7 | 83801 | 11512 | -9926 | 23291 | 4927 | -4248 | 0.28072 | 0 | 0 | 0
2024-02-13 | 8 | 85803 | 11064 | -9503 | 21830 | 4735 | -4067 | 0.25752 | 74 | 0 | 0
2024-02-13 | 9 | 82663 | 10683 | -9215 | 17904 | 4573 | -3944 | 0.22029 | 83 | 0 | 0
2024-02-13 | 10 | 78640 | 10911 | -9653 | 16263 | 4670 | -4131 | 0.21029 | 0 | 0 | 0
2024-02-13 | 11 | 74323 | 10771 | -9429 | 15199 | 4610 | -4035 | 0.20847 | 0 | 0 | 0
2024-02-13 | 12 | 71009 | 10687 | -9389 | 14737 | 4574 | -4019 | 0.21149 | 0 | 0 | 0
2024-02-13 | 13 | 69682 | 10897 | -9554 | 14519 | 4664 | -4089 | 0.21252 | 0 | 0 | 0
2024-02-13 | 14 | 68986 | 10893 | -9619 | 14253 | 4662 | -4117 | 0.21062 | 0 | 0 | 0
2024-02-13 | 15 | 69596 | 10668 | -9609 | 14597 | 4566 | -4113 | 0.21301 | 0 | 0 | 0
2024-02-13 | 16 | 71985 | 10225 | -9128 | 16110 | 4376 | -3907 | 0.22685 | 0 | 0 | 0
2024-02-13 | 17 | 76207 | 10532 | -9032 | 19737 | 4508 | -3866 | 0.26225 | 3 | 0 | 0
2024-02-13 | 18 | 82574 | 11034 | -9479 | 22531 | 4722 | -4057 | 0.27572 | 178 | 0 | 0
2024-02-13 | 19 | 85532 | 10950 | -9413 | 23200 | 4687 | -4029 | 0.27401 | 564 | 0 | 0
2024-02-13 | 20 | 84647 | 11364 | -9571 | 23656 | 4864 | -4096 | 0.28255 | 448 | 0 | 0
2024-02-13 | 21 | 82881 | 11257 | -9272 | 23664 | 4818 | -3968 | 0.28886 | 530 | 0 | 0
2024-02-13 | 22 | 79718 | 11013 | -9086 | 23284 | 4714 | -3889 | 0.29529 | 722 | 10 | 0.01385
2024-02-13 | 23 | 75391 | 10558 | -8576 | 22638 | 4519 | -3671 | 0.30354 | 154 | 0 | 0
2024-02-13 | 24 | 71621 | 10557 | -8611 | 21870 | 4518 | -3686 | 0.30859 | 28 | 0 | 0
2024-02-14 | 1 | 70100 | 10339 | -8682 | 21666 | 4425 | -3716 | 0.31182 | 451 | 1 | 0.0022173
2024-02-14 | 2 | 68935 | 10339 | -8666 | 21574 | 4425 | -3709 | 0.31569 | 177 | 0 | 0
2024-02-14 | 3 | 68356 | 10398 | -8811 | 21686 | 4451 | -3771 | 0.31977 | 0 | 0 | 0
2024-02-14 | 4 | 68913 | 10309 | -8622 | 21870 | 4412 | -3690 | 0.32 | 0 | 0 | 0
2024-02-14 | 5 | 71528 | 10713 | -9037 | 22061 | 4585 | -3868 | 0.31116 | 0 | 0 | 0
2024-02-14 | 6 | 77398 | 10958 | -9522 | 22556 | 4690 | -4075 | 0.29392 | 0 | 0 | 0
2024-02-14 | 7 | 83749 | 11556 | -10198 | 22781 | 4946 | -4365 | 0.2745 | 106 | 0 | 0
2024-02-14 | 8 | 85885 | 11120 | -9796 | 21614 | 4759 | -4193 | 0.25433 | 514 | 0 | 0
2024-02-14 | 9 | 83701 | 10851 | -9645 | 17830 | 4644 | -4128 | 0.21607 | 0 | 0 | 0
2024-02-14 | 10 | 80690 | 10995 | -9903 | 15811 | 4706 | -4238 | 0.19905 | 0 | 0 | 0
2024-02-14 | 11 | 76915 | 11520 | -10124 | 15369 | 4930 | -4333 | 0.20388 | 0 | 0 | 0
2024-02-14 | 12 | 75037 | 11534 | -10265 | 15352 | 4936 | -4393 | 0.20831 | 0 | 0 | 0
2024-02-14 | 13 | 73739 | 11683 | -10350 | 15324 | 5000 | -4430 | 0.21172 | 0 | 0 | 0
2024-02-14 | 14 | 67603 | 10848 | -9578 | 13526 | 4643 | -4099 | 0.20429 | 0 | 0 | 0
2024-02-14 | 15 | 75064 | 11448 | -10256 | 14896 | 4900 | -4390 | 0.20203 | 0 | 0 | 0
2024-02-14 | 16 | 77378 | 11109 | -9860 | 16360 | 4755 | -4220 | 0.21488 | 0 | 0 | 0
2024-02-14 | 17 | 82131 | 10573 | -9080 | 19864 | 4525 | -3886 | 0.24518 | 190 | 0 | 0
2024-02-14 | 18 | 86610 | 11422 | -10007 | 22166 | 4889 | -4283 | 0.2587 | 376 | 0 | 0
2024-02-14 | 19 | 87589 | 11289 | -9844 | 23008 | 4832 | -4213 | 0.26537 | 758 | 0 | 0
2024-02-14 | 20 | 85527 | 11270 | -9477 | 22938 | 4823 | -4056 | 0.27147 | 688 | 0 | 0
2024-02-14 | 21 | 83040 | 11167 | -9458 | 22966 | 4779 | -4048 | 0.27961 | 800 | 2 | 0.0025
2024-02-14 | 22 | 79335 | 10832 | -9143 | 22751 | 4636 | -3913 | 0.28972 | 736 | 16 | 0.021739
2024-02-14 | 23 | 75715 | 10120 | -8630 | 22359 | 4331 | -3694 | 0.29786 | 219 | 0 | 0
2024-02-14 | 24 | 72525 | 9785 | -8536 | 21921 | 4188 | -3653 | 0.30439 | 0 | 0 | 0
2024-02-15 | 1 | 70354 | 10317 | -8766 | 21812 | 4416 | -3752 | 0.31258 | 46 | 0 | 0
2024-02-15 | 2 | 69390 | 10277 | -8776 | 21614 | 4399 | -3756 | 0.31396 | 0 | 0 | 0
2024-02-15 | 3 | 68850 | 10230 | -8939 | 21478 | 4378 | -3826 | 0.31408 | 0 | 0 | 0
2024-02-15 | 4 | 69458 | 10238 | -9016 | 21647 | 4382 | -3859 | 0.31367 | 0 | 0 | 0
2024-02-15 | 5 | 72109 | 10690 | -9215 | 22037 | 4575 | -3944 | 0.30806 | 11 | 0 | 0
2024-02-15 | 6 | 77457 | 11037 | -9596 | 22727 | 4724 | -4107 | 0.29588 | 0 | 0 | 0
2024-02-15 | 7 | 83805 | 10707 | -9455 | 23059 | 4582 | -4047 | 0.27739 | 76 | 0 | 0
2024-02-15 | 8 | 85669 | 10669 | -9165 | 22509 | 4566 | -3922 | 0.2656 | 237 | 13 | 0.054852
2024-02-15 | 9 | 83509 | 10934 | -10090 | 19440 | 4680 | -4319 | 0.23474 | 0 | 0 | 0
2024-02-15 | 10 | 80501 | 11106 | -10246 | 17173 | 4754 | -4385 | 0.21561 | 0 | 0 | 0
2024-02-15 | 11 | 77476 | 11463 | -10868 | 16083 | 4906 | -4652 | 0.20926 | 0 | 0 | 0
2024-02-15 | 12 | 75844 | 11728 | -11379 | 15618 | 5020 | -4870 | 0.20695 | 0 | 0 | 0
2024-02-15 | 13 | 74480 | 12172 | -11745 | 15462 | 5210 | -5027 | 0.20886 | 0 | 0 | 0
2024-02-15 | 14 | 74313 | 12360 | -11934 | 15142 | 5290 | -5108 | 0.20503 | 0 | 0 | 0
2024-02-15 | 15 | 75179 | 12192 | -11806 | 15234 | 5218 | -5053 | 0.20378 | 0 | 0 | 0
2024-02-15 | 16 | 76887 | 11840 | -11158 | 15999 | 5067 | -4776 | 0.21001 | 0 | 0 | 0
2024-02-15 | 17 | 81577 | 11384 | -10230 | 19441 | 4872 | -4378 | 0.24096 | 0 | 0 | 0
2024-02-15 | 18 | 86582 | 11623 | -10474 | 22008 | 4975 | -4483 | 0.25647 | 71 | 0 | 0
2024-02-15 | 19 | 87931 | 11901 | -10417 | 22983 | 5094 | -4458 | 0.26415 | 51 | 4 | 0.078431
2024-02-15 | 20 | 86334 | 11767 | -10246 | 23306 | 5036 | -4385 | 0.27269 | 46 | 0 | 0
2024-02-15 | 21 | 84071 | 11260 | -9766 | 23405 | 4819 | -4180 | 0.281 | 0 | 0 | 0
2024-02-15 | 22 | 80630 | 11177 | -9754 | 23061 | 4784 | -4175 | 0.28847 | 109 | 0 | 0
2024-02-15 | 23 | 76298 | 10750 | -9328 | 22813 | 4601 | -3993 | 0.30135 | 25 | 0 | 0
2024-02-15 | 24 | 72561 | 11094 | -9411 | 22440 | 4748 | -4028 | 0.31194 | 209 | 1 | 0.0047847
2024-02-16 | 1 | 70403 | 11425 | -9281 | 22703 | 4890 | -3972 | 0.3256 | 249 | 2 | 0.0080321
2024-02-16 | 2 | 69186 | 11622 | -9355 | 22462 | 4974 | -4004 | 0.32794 | 99 | 0 | 0
2024-02-16 | 3 | 68680 | 11658 | -9330 | 22354 | 4990 | -3993 | 0.32885 | 26 | 0 | 0
2024-02-16 | 4 | 69262 | 11688 | -9279 | 22503 | 5003 | -3971 | 0.32838 | 0 | 0 | 0
2024-02-16 | 5 | 71825 | 11893 | -9483 | 22831 | 5090 | -4059 | 0.32144 | 0 | 0 | 0
2024-02-16 | 6 | 77520 | 11779 | -9629 | 23135 | 5041 | -4121 | 0.30193 | 0 | 0 | 0
2024-02-16 | 7 | 83395 | 12156 | -9978 | 23175 | 5203 | -4271 | 0.28171 | 0 | 0 | 0
2024-02-16 | 8 | 84647 | 12306 | -10025 | 22143 | 5267 | -4291 | 0.26596 | 106 | 0 | 0
2024-02-16 | 9 | 83099 | 12803 | -10602 | 19184 | 5480 | -4538 | 0.23594 | 0 | 0 | 0
2024-02-16 | 10 | 80228 | 12580 | -10411 | 17557 | 5384 | -4456 | 0.22434 | 0 | 0 | 0
2024-02-16 | 11 | 76895 | 12218 | -9999 | 16816 | 5229 | -4280 | 0.22455 | 0 | 0 | 0
2024-02-16 | 12 | 74458 | 12219 | -9831 | 16611 | 5230 | -4208 | 0.22946 | 0 | 0 | 0
2024-02-16 | 13 | 73261 | 12707 | -10767 | 16590 | 5439 | -4608 | 0.23166 | 0 | 0 | 0
2024-02-16 | 14 | 73009 | 12225 | -10390 | 16626 | 5232 | -4447 | 0.23263 | 0 | 0 | 0
2024-02-16 | 15 | 74129 | 12342 | -10631 | 17501 | 5282 | -4550 | 0.24041 | 0 | 0 | 0
2024-02-16 | 16 | 76249 | 11737 | -10579 | 19175 | 5023 | -4528 | 0.25411 | 149 | 0 | 0
2024-02-16 | 17 | 79260 | 11729 | -10381 | 21498 | 5020 | -4443 | 0.27386 | 115 | 0 | 0
2024-02-16 | 18 | 83729 | 12548 | -10971 | 23291 | 5371 | -4695 | 0.28095 | 27 | 0 | 0
2024-02-16 | 19 | 84426 | 13114 | -11032 | 23531 | 5613 | -4722 | 0.28231 | 699 | 3 | 0.0042918
2024-02-16 | 20 | 82666 | 13429 | -11181 | 23783 | 5748 | -4785 | 0.29142 | 80 | 1 | 0.0125
2024-02-16 | 21 | 80794 | 12821 | -10505 | 23731 | 5487 | -4496 | 0.29746 | 405 | 3 | 0.0074074
2024-02-16 | 22 | 78070 | 12319 | -10078 | 23385 | 5273 | -4313 | 0.30313 | 741 | 4 | 0.0053981
2024-02-16 | 23 | 75244 | 11313 | -9540 | 23122 | 4842 | -4083 | 0.31007 | 600 | 5 | 0.0083333
2024-02-16 | 24 | 72543 | 11352 | -9446 | 23188 | 4858 | -4043 | 0.32241 | 721 | 4 | 0.0055479
2024-02-17 | 1 | 70767 | 10435 | -8826 | 22522 | 4466 | -3777 | 0.3207 | 384 | 22 | 0.057292
2024-02-17 | 2 | 69162 | 10498 | -9053 | 22097 | 4493 | -3875 | 0.32171 | 309 | 1 | 0.0032362
2024-02-17 | 3 | 68243 | 10337 | -8818 | 22062 | 4424 | -3774 | 0.32556 | 124 | 2 | 0.016129
2024-02-17 | 4 | 68300 | 10327 | -8879 | 21955 | 4420 | -3800 | 0.32367 | 46 | 2 | 0.043478
2024-02-17 | 5 | 69285 | 10850 | -9194 | 22082 | 4644 | -3935 | 0.32127 | 229 | 1 | 0.0043668
2024-02-17 | 6 | 71417 | 10840 | -8939 | 22036 | 4639 | -3826 | 0.31164 | 332 | 1 | 0.003012
2024-02-17 | 7 | 73548 | 11155 | -8952 | 21936 | 4775 | -3831 | 0.30204 | 452 | 0 | 0
2024-02-17 | 8 | 75537 | 10725 | -8808 | 20060 | 4590 | -3770 | 0.26958 | 154 | 0 | 0
2024-02-17 | 9 | 75997 | 11040 | -9650 | 17159 | 4725 | -4130 | 0.22942 | 0 | 0 | 0
2024-02-17 | 10 | 77014 | 11140 | -9892 | 16679 | 4768 | -4234 | 0.21994 | 0 | 0 | 0
2024-02-17 | 11 | 75711 | 11086 | -9986 | 16250 | 4745 | -4274 | 0.21769 | 0 | 0 | 0
2024-02-17 | 12 | 73454 | 11188 | -9943 | 16116 | 4788 | -4255 | 0.22288 | 0 | 0 | 0
2024-02-17 | 13 | 73035 | 11504 | -10083 | 16114 | 4924 | -4316 | 0.22459 | 389 | 0 | 0
2024-02-17 | 14 | 71959 | 11028 | -10030 | 16065 | 4720 | -4293 | 0.22605 | 454 | 0 | 0
2024-02-17 | 15 | 72476 | 10946 | -9915 | 16505 | 4685 | -4244 | 0.23054 | 618 | 0 | 0
2024-02-17 | 16 | 61895 | 8931 | -8110 | 14570 | 3822 | -3471 | 0.23791 | 410 | 2 | 0.004878
2024-02-17 | 17 | 64697 | 8459 | -7417 | 17407 | 3621 | -3174 | 0.27159 | 49 | 0 | 0
2024-02-17 | 18 | 80773 | 10903 | -9562 | 22094 | 4667 | -4092 | 0.27607 | 6 | 0 | 0
2024-02-17 | 19 | 81765 | 11051 | -9735 | 22385 | 4730 | -4167 | 0.27621 | 0 | 0 | 0
2024-02-17 | 20 | 80121 | 11108 | -9569 | 22560 | 4754 | -4095 | 0.28434 | 0 | 0 | 0
2024-02-17 | 21 | 78018 | 10773 | -8951 | 22739 | 4611 | -3831 | 0.29458 | 124 | 0 | 0
2024-02-17 | 22 | 75090 | 10822 | -8619 | 22632 | 4632 | -3689 | 0.30501 | 119 | 0 | 0
2024-02-17 | 23 | 71814 | 11207 | -8934 | 22166 | 4797 | -3824 | 0.31232 | 0 | 0 | 0
2024-02-17 | 24 | 68865 | 11657 | -9416 | 21958 | 4989 | -4030 | 0.32229 | 0 | 0 | 0
2024-02-18 | 1 | 67379 | 11453 | -9384 | 21863 | 4902 | -4016 | 0.32757 | 0 | 0 | 0
2024-02-18 | 2 | 66115 | 11376 | -9356 | 21988 | 4869 | -4004 | 0.33541 | 0 | 0 | 0
2024-02-18 | 3 | 65201 | 11259 | -9282 | 21614 | 4819 | -3973 | 0.33434 | 0 | 0 | 0
2024-02-18 | 4 | 65082 | 11151 | -9275 | 21340 | 4773 | -3970 | 0.3307 | 0 | 0 | 0
2024-02-18 | 5 | 65802 | 11497 | -9527 | 21568 | 4921 | -4078 | 0.33068 | 0 | 0 | 0
2024-02-18 | 6 | 67773 | 12024 | -10111 | 21640 | 5146 | -4327 | 0.32229 | 0 | 0 | 0
2024-02-18 | 7 | 70267 | 11496 | -9699 | 21491 | 4920 | -4151 | 0.30889 | 0 | 0 | 0
2024-02-18 | 8 | 71300 | 10923 | -9483 | 19311 | 4675 | -4059 | 0.27395 | 0 | 0 | 0
2024-02-18 | 9 | 71212 | 11441 | -10325 | 15623 | 4897 | -4419 | 0.22261 | 0 | 0 | 0
2024-02-18 | 10 | 69940 | 11716 | -10946 | 14510 | 5014 | -4685 | 0.20986 | 0 | 0 | 0
2024-02-18 | 11 | 67226 | 11913 | -10941 | 13955 | 5099 | -4683 | 0.21072 | 0 | 0 | 0
2024-02-18 | 12 | 65787 | 12218 | -11200 | 13462 | 5229 | -4794 | 0.20802 | 0 | 0 | 0
2024-02-18 | 13 | 65618 | 13202 | -12207 | 13469 | 5651 | -5225 | 0.20859 | 0 | 0 | 0
2024-02-18 | 14 | 66331 | 13366 | -12441 | 13352 | 5721 | -5325 | 0.20441 | 0 | 0 | 0
2024-02-18 | 15 | 67882 | 13751 | -12611 | 13686 | 5886 | -5398 | 0.20535 | 0 | 0 | 0
2024-02-18 | 16 | 71718 | 13047 | -11964 | 15480 | 5584 | -5121 | 0.21899 | 0 | 0 | 0
2024-02-18 | 17 | 75602 | 11214 | -10029 | 19106 | 4799 | -4293 | 0.25541 | 0 | 0 | 0
2024-02-18 | 18 | 79893 | 12058 | -10828 | 21604 | 5161 | -4634 | 0.27281 | 0 | 0 | 0
2024-02-18 | 19 | 81054 | 12439 | -10942 | 22421 | 5324 | -4683 | 0.27937 | 11 | 0 | 0
2024-02-18 | 20 | 79590 | 12001 | -10480 | 22332 | 5136 | -4485 | 0.28335 | 464 | 0 | 0
2024-02-18 | 21 | 77406 | 11772 | -10315 | 22079 | 5038 | -4415 | 0.28787 | 449 | 3 | 0.0066815
2024-02-18 | 22 | 74663 | 11769 | -10437 | 21891 | 5037 | -4467 | 0.29556 | 408 | 5 | 0.012255
2024-02-18 | 23 | 71028 | 12291 | -10689 | 21392 | 5261 | -4575 | 0.30398 | 363 | 3 | 0.0082645
2024-02-18 | 24 | 67747 | 12226 | -10596 | 20748 | 5233 | -4535 | 0.30912 | 97 | 0 | 0
2024-02-19 | 1 | 65724 | 12205 | -10744 | 19341 | 5224 | -4598 | 0.29719 | 604 | 49 | 0.081126
2024-02-19 | 2 | 64886 | 11621 | -10397 | 19424 | 4974 | -4450 | 0.30174 | 439 | 2 | 0.0045558
2024-02-19 | 3 | 64408 | 11473 | -10385 | 19220 | 4910 | -4445 | 0.30055 | 665 | 2 | 0.0030075
2024-02-19 | 4 | 64934 | 11343 | -10232 | 19110 | 4855 | -4379 | 0.29656 | 497 | 0 | 0
2024-02-19 | 5 | 67282 | 11703 | -10553 | 19722 | 5009 | -4517 | 0.29539 | 373 | 1 | 0.002681
2024-02-19 | 6 | 71170 | 12328 | -10895 | 20732 | 5276 | -4663 | 0.294 | 285 | 1 | 0.0035088
2024-02-19 | 7 | 75508 | 11465 | -10031 | 20964 | 4907 | -4293 | 0.28045 | 507 | 0 | 0
2024-02-19 | 8 | 77026 | 11271 | -9961 | 19572 | 4824 | -4263 | 0.25701 | 604 | 0 | 0
2024-02-19 | 9 | 77863 | 11449 | -10326 | 17914 | 4900 | -4420 | 0.23288 | 401 | 0 | 0
2024-02-19 | 10 | 77736 | 11551 | -10844 | 16738 | 4944 | -4641 | 0.21724 | 0 | 0 | 0
2024-02-19 | 11 | 77038 | 11805 | -10982 | 16679 | 5053 | -4700 | 0.21875 | 0 | 0 | 0
2024-02-19 | 12 | 75560 | 12113 | -11334 | 16088 | 5184 | -4851 | 0.21511 | 0 | 0 | 0
2024-02-19 | 13 | 74643 | 12499 | -11405 | 15813 | 5349 | -4882 | 0.21495 | 0 | 0 | 0
2024-02-19 | 14 | 74371 | 12283 | -11220 | 15921 | 5257 | -4802 | 0.21709 | 0 | 0 | 0
2024-02-19 | 15 | 74930 | 12378 | -11411 | 16038 | 5298 | -4884 | 0.21677 | 0 | 0 | 0
2024-02-19 | 16 | 77678 | 11164 | -10820 | 17535 | 4778 | -4631 | 0.22663 | 0 | 0 | 0
2024-02-19 | 17 | 81220 | 10230 | -9635 | 21062 | 4378 | -4124 | 0.26054 | 0 | 0 | 0
2024-02-19 | 18 | 85020 | 10926 | -10185 | 23091 | 4676 | -4359 | 0.27294 | 158 | 0 | 0
2024-02-19 | 19 | 85811 | 11253 | -10304 | 23818 | 4816 | -4410 | 0.27921 | 446 | 0 | 0
2024-02-19 | 20 | 83748 | 11332 | -10283 | 23979 | 4850 | -4401 | 0.28808 | 230 | 0 | 0
2024-02-19 | 21 | 80606 | 11898 | -10427 | 23683 | 5092 | -4463 | 0.29621 | 326 | 0 | 0
2024-02-19 | 22 | 76846 | 10987 | -9378 | 23282 | 4702 | -4014 | 0.30553 | 501 | 25 | 0.0499
2024-02-19 | 23 | 72184 | 11242 | -9342 | 22382 | 4811 | -3998 | 0.31309 | 295 | 0 | 0
2024-02-19 | 24 | 67467 | 12081 | -9452 | 21423 | 5171 | -4045 | 0.32169 | 271 | 0 | 0
2024-02-20 | 1 | 65412 | 12244 | -9410 | 20752 | 5240 | -4028 | 0.32184 | 422 | 1 | 0.0023697
2024-02-20 | 2 | 63823 | 12211 | -9353 | 20316 | 5226 | -4003 | 0.32302 | 390 | 0 | 0
2024-02-20 | 3 | 63449 | 12138 | -9355 | 20352 | 5195 | -4004 | 0.32527 | 348 | 0 | 0
2024-02-20 | 4 | 63992 | 12282 | -9414 | 20629 | 5257 | -4029 | 0.32691 | 301 | 0 | 0
2024-02-20 | 5 | 66463 | 12256 | -9694 | 21071 | 5246 | -4149 | 0.32116 | 248 | 0 | 0
2024-02-20 | 6 | 71872 | 12468 | -10014 | 22219 | 5336 | -4286 | 0.31307 | 113 | 0 | 0
2024-02-20 | 7 | 77951 | 11801 | -9651 | 22507 | 5051 | -4131 | 0.29247 | 528 | 0 | 0
2024-02-20 | 8 | 80693 | 12043 | -10053 | 21383 | 5154 | -4303 | 0.26891 | 665 | 13 | 0.019549
2024-02-20 | 9 | 80139 | 11937 | -9923 | 20166 | 5109 | -4247 | 0.25596 | 305 | 0 | 0
2024-02-20 | 10 | 78813 | 12744 | -10501 | 19009 | 5454 | -4494 | 0.24636 | 11 | 0 | 0
2024-02-20 | 11 | 77153 | 12824 | -10612 | 18140 | 5488 | -4542 | 0.24048 | 0 | 0 | 0
2024-02-20 | 12 | 76691 | 12849 | -10438 | 18330 | 5499 | -4468 | 0.24476 | 0 | 0 | 0
2024-02-20 | 13 | 77319 | 13053 | -11143 | 18997 | 5587 | -4769 | 0.2501 | 48 | 0 | 0
2024-02-20 | 14 | 77145 | 13170 | -11249 | 19259 | 5637 | -4814 | 0.25399 | 585 | 0 | 0
2024-02-20 | 15 | 77787 | 12657 | -10886 | 19689 | 5417 | -4659 | 0.25701 | 439 | 0 | 0
2024-02-20 | 16 | 78405 | 12184 | -10340 | 20710 | 5215 | -4426 | 0.2679 | 679 | 0 | 0
2024-02-20 | 17 | 79991 | 11881 | -9919 | 22193 | 5085 | -4245 | 0.28105 | 1247 | 266 | 0.21331
2024-02-20 | 18 | 83362 | 11917 | -10315 | 23260 | 5101 | -4415 | 0.28184 | 1375 | 206 | 0.14982
2024-02-20 | 19 | 84870 | 12152 | -10537 | 23952 | 5201 | -4510 | 0.28494 | 1661 | 322 | 0.19386
2024-02-20 | 20 | 83028 | 12241 | -10525 | 23365 | 5239 | -4505 | 0.28437 | 1276 | 186 | 0.14577
2024-02-20 | 21 | 80734 | 12125 | -10406 | 22880 | 5190 | -4454 | 0.28642 | 1455 | 331 | 0.22749
2024-02-20 | 22 | 76852 | 12604 | -10609 | 22375 | 5394 | -4541 | 0.2946 | 1591 | 296 | 0.18605
2024-02-20 | 23 | 71651 | 13176 | -10923 | 21636 | 5639 | -4675 | 0.3058 | 413 | 6 | 0.014528
2024-02-20 | 24 | 67674 | 12630 | -10475 | 20840 | 5406 | -4483 | 0.31166 | 667 | 6 | 0.0089955
2024-02-21 | 1 | 65158 | 12407 | -9802 | 20440 | 5310 | -4195 | 0.31809 | 498 | 0 | 0
2024-02-21 | 2 | 63869 | 12170 | -9533 | 20570 | 5209 | -4080 | 0.32627 | 531 | 2 | 0.0037665
2024-02-21 | 3 | 63279 | 12330 | -9642 | 20620 | 5277 | -4127 | 0.33001 | 7 | 0 | 0
2024-02-21 | 4 | 63865 | 12434 | -9747 | 20805 | 5322 | -4172 | 0.32989 | 0 | 0 | 0
2024-02-21 | 5 | 66401 | 12678 | -10019 | 21062 | 5426 | -4288 | 0.32146 | 0 | 0 | 0
2024-02-21 | 6 | 71619 | 12850 | -10483 | 21634 | 5500 | -4487 | 0.3061 | 0 | 0 | 0
2024-02-21 | 7 | 77626 | 12255 | -10093 | 22013 | 5245 | -4320 | 0.28749 | 265 | 0 | 0
2024-02-21 | 8 | 80169 | 11575 | -9885 | 21063 | 4954 | -4231 | 0.26614 | 591 | 0 | 0
2024-02-21 | 9 | 77129 | 11345 | -9964 | 17490 | 4856 | -4265 | 0.2303 | 0 | 0 | 0
2024-02-21 | 10 | 74696 | 11815 | -10910 | 16080 | 5057 | -4669 | 0.21783 | 0 | 0 | 0
2024-02-21 | 11 | 72687 | 11922 | -11082 | 15593 | 5102 | -4743 | 0.21695 | 0 | 0 | 0
2024-02-21 | 12 | 70846 | 12075 | -10887 | 15184 | 5168 | -4660 | 0.21784 | 0 | 0 | 0
2024-02-21 | 13 | 70698 | 13098 | -11803 | 15337 | 5606 | -5052 | 0.22073 | 0 | 0 | 0
2024-02-21 | 14 | 70629 | 13403 | -12518 | 15167 | 5736 | -5358 | 0.21737 | 0 | 0 | 0
2024-02-21 | 15 | 71837 | 12836 | -12406 | 15532 | 5494 | -5310 | 0.21747 | 0 | 0 | 0
2024-02-21 | 16 | 61928 | 9844 | -9332 | 13842 | 4213 | -3994 | 0.22519 | 0 | 0 | 0
2024-02-21 | 17 | 77007 | 11368 | -10050 | 19416 | 4865 | -4301 | 0.25509 | 25 | 0 | 0
2024-02-21 | 18 | 82322 | 11926 | -10403 | 22122 | 5104 | -4453 | 0.27161 | 423 | 0 | 0
2024-02-21 | 19 | 83802 | 12291 | -10843 | 22986 | 5261 | -4641 | 0.2769 | 465 | 21 | 0.045161
2024-02-21 | 20 | 82119 | 12738 | -11023 | 22966 | 5452 | -4718 | 0.2827 | 650 | 0 | 0
2024-02-21 | 21 | 79538 | 12693 | -10611 | 22759 | 5433 | -4542 | 0.28976 | 477 | 0 | 0
2024-02-21 | 22 | 76027 | 12721 | -10462 | 22301 | 5445 | -4478 | 0.29722 | 578 | 0 | 0
2024-02-21 | 23 | 71577 | 12490 | -10236 | 21675 | 5346 | -4381 | 0.30665 | 297 | 0 | 0
2024-02-21 | 24 | 67629 | 12439 | -10082 | 20335 | 5324 | -4315 | 0.30498 | 442 | 0 | 0
2024-02-22 | 1 | 65441 | 12541 | -10205 | 19789 | 5367 | -4368 | 0.30671 | 478 | 0 | 0
2024-02-22 | 2 | 64037 | 12455 | -10207 | 19414 | 5331 | -4369 | 0.3074 | 422 | 0 | 0
2024-02-22 | 3 | 63617 | 12445 | -10181 | 19382 | 5326 | -4357 | 0.30891 | 422 | 0 | 0
2024-02-22 | 4 | 64280 | 12594 | -10311 | 19865 | 5390 | -4413 | 0.31312 | 127 | 0 | 0
2024-02-22 | 5 | 67255 | 12946 | -10621 | 20867 | 5541 | -4546 | 0.3142 | 0 | 0 | 0
2024-02-22 | 6 | 72719 | 13618 | -11210 | 21752 | 5828 | -4798 | 0.30325 | 2 | 0 | 0
2024-02-22 | 7 | 78062 | 12796 | -10293 | 22034 | 5477 | -4405 | 0.2868 | 718 | 0 | 0
2024-02-22 | 8 | 79104 | 12752 | -10084 | 20007 | 5458 | -4316 | 0.25863 | 496 | 0 | 0
2024-02-22 | 9 | 75865 | 12280 | -9970 | 16293 | 5256 | -4267 | 0.22107 | 0 | 0 | 0
2024-02-22 | 10 | 73020 | 12137 | -10554 | 14570 | 5195 | -4517 | 0.20439 | 0 | 0 | 0
2024-02-22 | 11 | 69649 | 12190 | -10629 | 14029 | 5217 | -4549 | 0.20639 | 0 | 0 | 0
2024-02-22 | 12 | 67260 | 12588 | -11308 | 13580 | 5388 | -4840 | 0.20613 | 0 | 0 | 0
2024-02-22 | 13 | 65509 | 12782 | -11052 | 13195 | 5471 | -4730 | 0.20726 | 0 | 0 | 0
2024-02-22 | 14 | 65287 | 12047 | -10558 | 13098 | 5156 | -4519 | 0.20569 | 0 | 0 | 0
2024-02-22 | 15 | 65773 | 12389 | -10781 | 13227 | 5302 | -4614 | 0.20651 | 0 | 0 | 0
2024-02-22 | 16 | 68015 | 12218 | -10252 | 14243 | 5229 | -4388 | 0.21554 | 0 | 0 | 0
2024-02-22 | 17 | 71784 | 12422 | -9979 | 17700 | 5317 | -4271 | 0.25255 | 16 | 1 | 0.0625
2024-02-22 | 18 | 78605 | 12934 | -10375 | 21615 | 5536 | -4440 | 0.27982 | 763 | 51 | 0.066841
2024-02-22 | 19 | 80848 | 12992 | -10306 | 22506 | 5561 | -4411 | 0.28319 | 689 | 57 | 0.082729
2024-02-22 | 20 | 80126 | 13520 | -10736 | 22755 | 5786 | -4595 | 0.28882 | 950 | 161 | 0.16947
2024-02-22 | 21 | 77816 | 13435 | -10600 | 22522 | 5750 | -4537 | 0.29429 | 427 | 39 | 0.091335
2024-02-22 | 22 | 74644 | 13235 | -10409 | 22162 | 5664 | -4455 | 0.30168 | 686 | 9 | 0.01312
2024-02-22 | 23 | 70454 | 12964 | -10061 | 21645 | 5548 | -4306 | 0.31199 | 111 | 0 | 0
2024-02-22 | 24 | 66652 | 12838 | -9670 | 21044 | 5495 | -4139 | 0.32082 | 302 | 0 | 0
2024-02-23 | 1 | 64868 | 13692 | -10426 | 20967 | 5860 | -4462 | 0.32825 | 294 | 0 | 0
2024-02-23 | 2 | 63691 | 13627 | -10324 | 20695 | 5832 | -4419 | 0.33 | 413 | 0 | 0
2024-02-23 | 3 | 63123 | 13336 | -10124 | 20441 | 5708 | -4333 | 0.32888 | 395 | 0 | 0
2024-02-23 | 4 | 63713 | 13372 | -10075 | 20690 | 5723 | -4312 | 0.32982 | 153 | 0 | 0
2024-02-23 | 5 | 66491 | 13375 | -10222 | 21159 | 5724 | -4375 | 0.32319 | 117 | 0 | 0
2024-02-23 | 6 | 72011 | 14000 | -11082 | 21897 | 5992 | -4743 | 0.30891 | 15 | 0 | 0
2024-02-23 | 7 | 77985 | 13353 | -10552 | 22295 | 5715 | -4516 | 0.29082 | 490 | 0 | 0
2024-02-23 | 8 | 80049 | 13185 | -10488 | 21015 | 5643 | -4489 | 0.26792 | 783 | 75 | 0.095785
2024-02-23 | 9 | 77809 | 12884 | -10191 | 18434 | 5514 | -4362 | 0.2433 | 699 | 119 | 0.17024
2024-02-23 | 10 | 73873 | 13408 | -10840 | 16092 | 5739 | -4639 | 0.22491 | 0 | 0 | 0
2024-02-23 | 11 | 70866 | 12674 | -10418 | 15318 | 5425 | -4459 | 0.2227 | 0 | 0 | 0
2024-02-23 | 12 | 68422 | 12005 | -9773 | 14419 | 5138 | -4183 | 0.2176 | 0 | 0 | 0
2024-02-23 | 13 | 67218 | 11759 | -9344 | 14059 | 5033 | -3999 | 0.21675 | 0 | 0 | 0
2024-02-23 | 14 | 67229 | 12200 | -9807 | 13951 | 5222 | -4198 | 0.21509 | 0 | 0 | 0
2024-02-23 | 15 | 67367 | 12403 | -10037 | 14073 | 5308 | -4296 | 0.21633 | 0 | 0 | 0
2024-02-23 | 16 | 68122 | 12187 | -9691 | 15038 | 5216 | -4148 | 0.22807 | 0 | 0 | 0
2024-02-23 | 17 | 71930 | 13074 | -10180 | 18279 | 5596 | -4357 | 0.26085 | 131 | 4 | 0.030534
2024-02-23 | 18 | 76964 | 14321 | -11275 | 21298 | 6129 | -4826 | 0.28248 | 615 | 73 | 0.1187
2024-02-23 | 19 | 78200 | 14352 | -11266 | 21771 | 6143 | -4822 | 0.28408 | 695 | 31 | 0.044604
2024-02-23 | 20 | 77097 | 14455 | -11530 | 22019 | 6187 | -4935 | 0.29081 | 714 | 0 | 0
2024-02-23 | 21 | 75260 | 14123 | -11227 | 21556 | 6045 | -4805 | 0.29167 | 610 | 0 | 0
2024-02-23 | 22 | 72711 | 14534 | -11526 | 21009 | 6221 | -4933 | 0.29447 | 567 | 12 | 0.021164
2024-02-23 | 23 | 69439 | 14269 | -11005 | 20291 | 6107 | -4710 | 0.29831 | 453 | 22 | 0.048565
2024-02-23 | 24 | 67075 | 13396 | -10534 | 19065 | 5733 | -4508 | 0.29012 | 736 | 32 | 0.043478
2024-02-24 | 1 | 64981 | 14623 | -12132 | 18397 | 6259 | -5193 | 0.28846 | 638 | 26 | 0.040752
2024-02-24 | 2 | 63329 | 14965 | -12502 | 17787 | 6405 | -5351 | 0.28637 | 646 | 29 | 0.044892
2024-02-24 | 3 | 62493 | 14692 | -12210 | 17791 | 6288 | -5226 | 0.29016 | 559 | 1 | 0.0017889
2024-02-24 | 4 | 62396 | 14938 | -12462 | 17906 | 6393 | -5334 | 0.29234 | 557 | 0 | 0
2024-02-24 | 5 | 63548 | 15665 | -12975 | 18096 | 6705 | -5553 | 0.29059 | 557 | 0 | 0
2024-02-24 | 6 | 66008 | 16134 | -13472 | 18368 | 6905 | -5766 | 0.28407 | 507 | 0 | 0
2024-02-24 | 7 | 68660 | 15113 | -12450 | 18105 | 6468 | -5329 | 0.26981 | 759 | 19 | 0.025033
2024-02-24 | 8 | 70076 | 14276 | -11899 | 16607 | 6110 | -5093 | 0.24325 | 793 | 22 | 0.027743
2024-02-24 | 9 | 69178 | 13527 | -11110 | 14253 | 5790 | -4755 | 0.21353 | 420 | 27 | 0.064286
2024-02-24 | 10 | 67169 | 12861 | -11084 | 12796 | 5504 | -4744 | 0.19662 | 0 | 0 | 0
2024-02-24 | 11 | 64805 | 12729 | -11160 | 12095 | 5448 | -4777 | 0.19233 | 0 | 0 | 0
2024-02-24 | 12 | 62934 | 12664 | -11433 | 11872 | 5420 | -4893 | 0.19324 | 0 | 0 | 0
2024-02-24 | 13 | 60893 | 12544 | -11282 | 11687 | 5369 | -4829 | 0.19672 | 0 | 0 | 0
2024-02-24 | 14 | 61280 | 12121 | -10962 | 11559 | 5188 | -4692 | 0.19307 | 0 | 0 | 0
2024-02-24 | 15 | 62678 | 11784 | -10778 | 11925 | 5044 | -4613 | 0.19402 | 0 | 0 | 0
2024-02-24 | 16 | 66054 | 11877 | -11145 | 12775 | 5083 | -4770 | 0.19597 | 0 | 0 | 0
2024-02-24 | 17 | 70195 | 13868 | -12826 | 14763 | 5936 | -5490 | 0.2135 | 0 | 0 | 0
2024-02-24 | 18 | 75117 | 15773 | -14237 | 17806 | 6751 | -6093 | 0.24088 | 7 | 1 | 0.14286
2024-02-24 | 19 | 77066 | 15914 | -14455 | 18241 | 6811 | -6187 | 0.24024 | 186 | 1 | 0.0053763
2024-02-24 | 20 | 75658 | 15587 | -14054 | 17861 | 6671 | -6015 | 0.23989 | 610 | 1 | 0.0016393
2024-02-24 | 21 | 73751 | 15193 | -13441 | 17957 | 6503 | -5753 | 0.24776 | 698 | 42 | 0.060172
2024-02-24 | 22 | 71924 | 14728 | -13397 | 17611 | 6304 | -5734 | 0.24819 | 492 | 1 | 0.0020325
2024-02-24 | 23 | 68611 | 15464 | -13922 | 17480 | 6618 | -5959 | 0.25856 | 282 | 0 | 0
2024-02-24 | 24 | 65167 | 15604 | -13757 | 16578 | 6679 | -5888 | 0.25918 | 60 | 0 | 0
2024-02-25 | 1 | 63094 | 14776 | -12764 | 15179 | 6324 | -5463 | 0.24637 | 505 | 6 | 0.011881
2024-02-25 | 2 | 61614 | 14615 | -12732 | 14374 | 6255 | -5449 | 0.23907 | 545 | 0 | 0
2024-02-25 | 3 | 60782 | 14581 | -12848 | 14142 | 6241 | -5499 | 0.23809 | 542 | 36 | 0.066421
2024-02-25 | 4 | 60562 | 14630 | -12829 | 14135 | 6262 | -5491 | 0.23902 | 550 | 36 | 0.065455
2024-02-25 | 5 | 61379 | 14808 | -12932 | 14555 | 6338 | -5535 | 0.2428 | 494 | 34 | 0.068826
2024-02-25 | 6 | 63199 | 14924 | -12936 | 14793 | 6387 | -5537 | 0.23997 | 459 | 2 | 0.0043573
2024-02-25 | 7 | 65494 | 14840 | -12924 | 14842 | 6351 | -5532 | 0.23232 | 438 | 42 | 0.09589
2024-02-25 | 8 | 67028 | 14308 | -12970 | 13404 | 6124 | -5551 | 0.20444 | 172 | 1 | 0.005814
2024-02-25 | 9 | 67010 | 12867 | -12140 | 11699 | 5507 | -5196 | 0.1773 | 0 | 0 | 0
2024-02-25 | 10 | 65870 | 13208 | -12732 | 11045 | 5653 | -5449 | 0.16955 | 0 | 0 | 0
2024-02-25 | 11 | 64010 | 13748 | -12970 | 11222 | 5884 | -5551 | 0.17835 | 0 | 0 | 0
2024-02-25 | 12 | 63021 | 13629 | -13010 | 11527 | 5833 | -5568 | 0.18529 | 0 | 0 | 0
2024-02-25 | 13 | 62360 | 13678 | -12992 | 11639 | 5854 | -5561 | 0.18926 | 0 | 0 | 0
2024-02-25 | 14 | 63184 | 13502 | -12473 | 11524 | 5779 | -5339 | 0.18632 | 0 | 0 | 0
2024-02-25 | 15 | 64793 | 13338 | -12229 | 11857 | 5709 | -5234 | 0.18713 | 0 | 0 | 0
2024-02-25 | 16 | 67682 | 14010 | -12916 | 12620 | 5996 | -5528 | 0.1903 | 0 | 0 | 0
2024-02-25 | 17 | 71340 | 14686 | -12494 | 14397 | 6286 | -5347 | 0.20856 | 15 | 0 | 0
2024-02-25 | 18 | 76033 | 15686 | -13111 | 16473 | 6714 | -5612 | 0.22358 | 502 | 1 | 0.001992
2024-02-25 | 19 | 78353 | 15779 | -13163 | 17095 | 6753 | -5634 | 0.22495 | 550 | 0 | 0
2024-02-25 | 20 | 77597 | 15428 | -12953 | 17055 | 6603 | -5544 | 0.22622 | 735 | 0 | 0
2024-02-25 | 21 | 75610 | 15259 | -12864 | 16934 | 6531 | -5506 | 0.23023 | 762 | 0 | 0
2024-02-25 | 22 | 71972 | 15222 | -12721 | 16211 | 6515 | -5444 | 0.23206 | 855 | 4 | 0.0046784
2024-02-25 | 23 | 67805 | 14804 | -12303 | 15097 | 6336 | -5266 | 0.22995 | 730 | 4 | 0.0054795
2024-02-25 | 24 | 64187 | 14752 | -12256 | 13949 | 6314 | -5246 | 0.2252 | 757 | 44 | 0.058124
2024-02-26 | 1 | 62778 | 14643 | -12412 | 13898 | 6267 | -5312 | 0.22848 | 747 | 70 | 0.093708
2024-02-26 | 2 | 61595 | 14585 | -12420 | 13427 | 6242 | -5316 | 0.22511 | 665 | 66 | 0.099248
2024-02-26 | 3 | 61534 | 14374 | -12247 | 13357 | 6152 | -5242 | 0.22411 | 587 | 16 | 0.027257
2024-02-26 | 4 | 62297 | 14298 | -12117 | 13667 | 6120 | -5186 | 0.22645 | 645 | 43 | 0.066667
2024-02-26 | 5 | 65431 | 14288 | -12174 | 14435 | 6115 | -5210 | 0.22711 | 468 | 0 | 0
2024-02-26 | 6 | 70734 | 14916 | -12563 | 15966 | 6384 | -5377 | 0.23223 | 460 | 0 | 0
2024-02-26 | 7 | 77396 | 14141 | -11943 | 17339 | 6052 | -5112 | 0.22965 | 356 | 0 | 0
2024-02-26 | 8 | 80935 | 13958 | -11695 | 17165 | 5974 | -5006 | 0.21795 | 720 | 87 | 0.12083
2024-02-26 | 9 | 80550 | 13157 | -11295 | 15852 | 5631 | -4834 | 0.20202 | 453 | 67 | 0.1479
2024-02-26 | 10 | 79486 | 12900 | -11412 | 14973 | 5521 | -4884 | 0.19278 | 34 | 0 | 0
2024-02-26 | 11 | 79271 | 12897 | -11847 | 14709 | 5520 | -5070 | 0.18873 | 0 | 0 | 0
2024-02-26 | 12 | 78344 | 13113 | -11931 | 14576 | 5612 | -5106 | 0.18965 | 296 | 0 | 0
2024-02-26 | 13 | 77457 | 13163 | -12071 | 14227 | 5634 | -5166 | 0.18708 | 437 | 0 | 0
2024-02-26 | 14 | 76919 | 13202 | -12177 | 14650 | 5650 | -5212 | 0.19357 | 622 | 0 | 0
2024-02-26 | 15 | 78024 | 13312 | -12291 | 15226 | 5698 | -5261 | 0.19815 | 1168 | 122 | 0.10445
2024-02-26 | 16 | 78715 | 13086 | -12161 | 15809 | 5601 | -5205 | 0.20348 | 883 | 32 | 0.03624
2024-02-26 | 17 | 80731 | 13972 | -12558 | 17324 | 5980 | -5375 | 0.21826 | 908 | 103 | 0.11344
2024-02-26 | 18 | 84825 | 14448 | -13121 | 18247 | 6184 | -5616 | 0.21839 | 699 | 0 | 0
2024-02-26 | 19 | 87291 | 14772 | -13484 | 18627 | 6322 | -5771 | 0.21651 | 551 | 4 | 0.0072595
2024-02-26 | 20 | 86385 | 14532 | -13456 | 18588 | 6220 | -5759 | 0.2178 | 868 | 0 | 0
2024-02-26 | 21 | 84094 | 14097 | -13078 | 18092 | 6033 | -5597 | 0.21769 | 627 | 24 | 0.038278
2024-02-26 | 22 | 80525 | 13778 | -12883 | 17435 | 5897 | -5514 | 0.21884 | 699 | 5 | 0.0071531
2024-02-26 | 23 | 75744 | 13810 | -12882 | 16704 | 5911 | -5514 | 0.22304 | 522 | 0 | 0
2024-02-26 | 24 | 71829 | 13417 | -12705 | 15996 | 5743 | -5438 | 0.22471 | 537 | 0 | 0
2024-02-27 | 1 | 69624 | 12625 | -12068 | 15823 | 5403 | -5165 | 0.22885 | 623 | 0 | 0
2024-02-27 | 2 | 68330 | 12974 | -12306 | 15708 | 5553 | -5267 | 0.2318 | 468 | 2 | 0.0042735
2024-02-27 | 3 | 67389 | 13287 | -12307 | 15533 | 5687 | -5267 | 0.23334 | 176 | 0 | 0
2024-02-27 | 4 | 68207 | 13053 | -12085 | 15701 | 5586 | -5173 | 0.23295 | 0 | 0 | 0
2024-02-27 | 5 | 70849 | 12891 | -11898 | 16531 | 5518 | -5092 | 0.23603 | 0 | 0 | 0
2024-02-27 | 6 | 76303 | 13128 | -11996 | 17762 | 5619 | -5134 | 0.23564 | 0 | 0 | 0
2024-02-27 | 7 | 82219 | 12557 | -11105 | 18719 | 5374 | -4753 | 0.23114 | 0 | 0 | 0
2024-02-27 | 8 | 84445 | 12011 | -10699 | 17395 | 5141 | -4579 | 0.20939 | 0 | 0 | 0
2024-02-27 | 9 | 83167 | 11676 | -11324 | 14829 | 4997 | -4847 | 0.17935 | 0 | 0 | 0
2024-02-27 | 10 | 80556 | 12647 | -12856 | 13569 | 5413 | -5502 | 0.16777 | 0 | 0 | 0
2024-02-27 | 11 | 77219 | 12619 | -12774 | 13456 | 5401 | -5467 | 0.17375 | 0 | 0 | 0
2024-02-27 | 12 | 75313 | 12749 | -13202 | 13091 | 5456 | -5650 | 0.17228 | 0 | 0 | 0
2024-02-27 | 13 | 73697 | 12978 | -12950 | 13086 | 5555 | -5543 | 0.17766 | 0 | 0 | 0
2024-02-27 | 14 | 55226 | 9571 | -9639 | 9749 | 4097 | -4125 | 0.17624 | 0 | 0 | 0
2024-02-27 | 15 | 73927 | 12921 | -12812 | 13238 | 5530 | -5484 | 0.17943 | 0 | 0 | 0
2024-02-27 | 16 | 75307 | 11902 | -11728 | 14162 | 5094 | -5020 | 0.1886 | 0 | 0 | 0
2024-02-27 | 17 | 79549 | 11652 | -10901 | 16947 | 4987 | -4665 | 0.21506 | 0 | 0 | 0
2024-02-27 | 18 | 85753 | 12398 | -11380 | 20275 | 5306 | -4871 | 0.23867 | 58 | 0 | 0
2024-02-27 | 19 | 88004 | 12581 | -11733 | 21411 | 5385 | -5022 | 0.24506 | 402 | 2 | 0.0049751
2024-02-27 | 20 | 86822 | 12770 | -11811 | 21532 | 5466 | -5055 | 0.24997 | 710 | 2 | 0.0028169
2024-02-27 | 21 | 84508 | 12817 | -11806 | 21312 | 5486 | -5053 | 0.25427 | 642 | 4 | 0.0062305
2024-02-27 | 22 | 80350 | 12093 | -10813 | 20621 | 5176 | -4628 | 0.25933 | 1146 | 140 | 0.12216
2024-02-27 | 23 | 75561 | 12387 | -10985 | 19748 | 5302 | -4701 | 0.2644 | 672 | 4 | 0.0059524
2024-02-27 | 24 | 71760 | 12402 | -11171 | 19070 | 5308 | -4781 | 0.26849 | 690 | 17 | 0.024638
2024-02-28 | 1 | 68976 | 12498 | -10863 | 18423 | 5349 | -4649 | 0.27082 | 482 | 6 | 0.012448
2024-02-28 | 2 | 67716 | 12160 | -10668 | 18346 | 5204 | -4566 | 0.2743 | 626 | 1 | 0.0015974
2024-02-28 | 3 | 66095 | 12771 | -10572 | 18132 | 5466 | -4525 | 0.27928 | 611 | 7 | 0.011457
2024-02-28 | 4 | 66054 | 13082 | -10459 | 18161 | 5599 | -4477 | 0.28078 | 505 | 21 | 0.041584
2024-02-28 | 5 | 68557 | 13241 | -10750 | 18394 | 5667 | -4601 | 0.2739 | 391 | 4 | 0.01023
2024-02-28 | 6 | 73692 | 13297 | -10653 | 19103 | 5691 | -4560 | 0.26506 | 565 | 14 | 0.024779
2024-02-28 | 7 | 79491 | 13276 | -10632 | 19525 | 5682 | -4550 | 0.2515 | 904 | 100 | 0.11062
2024-02-28 | 8 | 80292 | 12851 | -10691 | 16578 | 5500 | -4576 | 0.21227 | 948 | 181 | 0.19093
2024-02-28 | 9 | 77212 | 13193 | -11194 | 13266 | 5647 | -4791 | 0.17828 | 0 | 0 | 0
2024-02-28 | 10 | 75058 | 12651 | -11457 | 12466 | 5415 | -4904 | 0.17019 | 0 | 0 | 0
2024-02-28 | 11 | 72793 | 12592 | -11702 | 12256 | 5389 | -5009 | 0.17149 | 0 | 0 | 0
2024-02-28 | 12 | 71198 | 12912 | -12392 | 11910 | 5526 | -5304 | 0.16916 | 0 | 0 | 0
2024-02-28 | 13 | 69735 | 13143 | -12271 | 11792 | 5625 | -5252 | 0.17229 | 0 | 0 | 0
2024-02-28 | 14 | 70372 | 13389 | -12732 | 11838 | 5731 | -5449 | 0.17063 | 0 | 0 | 0
2024-02-28 | 15 | 71579 | 13602 | -12971 | 12102 | 5822 | -5552 | 0.17133 | 0 | 0 | 0
2024-02-28 | 16 | 74400 | 13625 | -13007 | 12865 | 5831 | -5567 | 0.17501 | 0 | 0 | 0
2024-02-28 | 17 | 76986 | 14489 | -12680 | 15476 | 6201 | -5427 | 0.20623 | 363 | 23 | 0.063361
2024-02-28 | 18 | 82457 | 15947 | -13815 | 18441 | 6825 | -5913 | 0.22879 | 1325 | 217 | 0.16377
2024-02-28 | 19 | 83849 | 16011 | -13529 | 18792 | 6853 | -5791 | 0.22998 | 756 | 8 | 0.010582
2024-02-28 | 20 | 82228 | 16210 | -13717 | 18980 | 6938 | -5871 | 0.23662 | 1130 | 91 | 0.080531
2024-02-28 | 21 | 79687 | 16167 | -13522 | 18702 | 6919 | -5787 | 0.2409 | 1040 | 147 | 0.14135
2024-02-28 | 22 | 76435 | 15382 | -12703 | 18460 | 6583 | -5437 | 0.24782 | 1232 | 184 | 0.14935
2024-02-28 | 23 | 72418 | 15255 | -12916 | 18176 | 6529 | -5528 | 0.25652 | 506 | 14 | 0.027668
2024-02-28 | 24 | 68039 | 15089 | -12393 | 17185 | 6458 | -5304 | 0.25926 | 522 | 46 | 0.088123
2024-02-29 | 1 | 65860 | 14812 | -12162 | 16777 | 6339 | -5205 | 0.26144 | 801 | 129 | 0.16105
2024-02-29 | 2 | 64456 | 14596 | -12018 | 16917 | 6247 | -5144 | 0.26882 | 602 | 51 | 0.084718
2024-02-29 | 3 | 63675 | 14577 | -11943 | 16679 | 6239 | -5112 | 0.26853 | 691 | 62 | 0.089725
2024-02-29 | 4 | 64123 | 14828 | -12044 | 16757 | 6346 | -5155 | 0.26825 | 568 | 52 | 0.091549
2024-02-29 | 5 | 66469 | 15305 | -12405 | 16825 | 6551 | -5309 | 0.26045 | 472 | 1 | 0.0021186
2024-02-29 | 6 | 71889 | 15693 | -12760 | 17696 | 6717 | -5461 | 0.25329 | 225 | 1 | 0.0044444
2024-02-29 | 7 | 77828 | 15115 | -12302 | 18229 | 6469 | -5265 | 0.24098 | 650 | 28 | 0.043077
2024-02-29 | 8 | 79658 | 13649 | -11071 | 15711 | 5842 | -4738 | 0.20447 | 429 | 29 | 0.067599
2024-02-29 | 9 | 79222 | 12191 | -10252 | 13031 | 5218 | -4388 | 0.17078 | 0 | 0 | 0
2024-02-29 | 10 | 78615 | 11502 | -10227 | 12387 | 4923 | -4377 | 0.16189 | 0 | 0 | 0
2024-02-29 | 11 | 76752 | 11298 | -10038 | 11936 | 4835 | -4296 | 0.15991 | 0 | 0 | 0
2024-02-29 | 12 | 75293 | 11676 | -10510 | 11839 | 4997 | -4498 | 0.16137 | 0 | 0 | 0
2024-02-29 | 13 | 74317 | 11852 | -10762 | 11771 | 5073 | -4606 | 0.16229 | 0 | 0 | 0
2024-02-29 | 14 | 73029 | 12032 | -10807 | 11738 | 5149 | -4625 | 0.16514 | 0 | 0 | 0
2024-02-29 | 15 | 73172 | 12610 | -11358 | 11960 | 5397 | -4861 | 0.1679 | 0 | 0 | 0
2024-02-29 | 16 | 75071 | 12495 | -11182 | 12544 | 5348 | -4786 | 0.17158 | 0 | 0 | 0
2024-02-29 | 17 | 78139 | 12930 | -10689 | 14397 | 5534 | -4575 | 0.19104 | 0 | 0 | 0
2024-02-29 | 18 | 84087 | 13577 | -11143 | 17948 | 5811 | -4769 | 0.21948 | 0 | 0 | 0
2024-02-29 | 19 | 86106 | 13607 | -11263 | 19076 | 5824 | -4821 | 0.22701 | 553 | 0 | 0
2024-02-29 | 20 | 85307 | 13321 | -11176 | 19582 | 5701 | -4783 | 0.23441 | 532 | 0 | 0
2024-02-29 | 21 | 83236 | 12959 | -11237 | 19437 | 5546 | -4809 | 0.23746 | 441 | 1 | 0.0022676
2024-02-29 | 22 | 73566 | 11473 | -10181 | 17433 | 4910 | -4357 | 0.24027 | 394 | 1 | 0.0025381
2024-02-29 | 23 | 76036 | 13151 | -12031 | 18141 | 5629 | -5149 | 0.24134 | 116 | 0 | 0
2024-02-29 | 24 | 71575 | 12920 | -11730 | 17155 | 5530 | -5020 | 0.24277 | 5 | 0 | 0