## KEY
Average Emissions Rate Calculation
Background:
The CAISO is publishing this metric of an average emissions rate (AER) based on the discussion in the GHG working groups. CAISO discussed the metric at the November 27, 2023 GHG Coordination Working Group. A brief explanation of the methodology is included below:
Methodology:
1) Which resources are reflected in this example AER metric (all schedules are from the 5-minute market)
- All supply resources are included
- All demand response resources are excluded
- All energy storage resources are included (emissions rate used is 0 MTCO2e/MWh)
- Resources that were attributed to serve California are included
2) The AER measures all schedules ie. The total dispatach of the resources and not relative to WEIM base schedule
3) Bilateral transactions are included (emissions rate used is 0.428 MTCO2e/MWh) unless they are resource specific.
4) CAISO filled in missing heat rate and emissions rate data by using wtd averages from existing data
Key
TRADE_DT | Trade date of the reported data in MM/DD/YYYY format
TRADE_HR | Trade hour of the reported data. Data is reported as the "hour-ending", e.g. TRADE_HR = 2 is for the hour-ending 1:59:59AM Pacific time
GEN_MWH | MWh of electricity generation in the WEIM area* (including CAISO)
IMP_MWH | MWh of electricity imports into the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
EXP_MWH | MWh of electricity exports from the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
GEN_GHG | Greenhouse gas emissions in MTCO2e of electricity generation in the WEIM area
IMP_GHG | Greenhouse gas emissions in MTCO2e of electricity imports into the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
EXP_GHG | Greenhouse gas emissions in MTCO2e of electricity exports from the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
AVG_EM_RATE | Average emissions rate calculated as columns G through I divided by columns C through E
ATTR_MWH | MWh of WEIM transfers into California which, by definition, is equal to the sum of the GHG attributions
ATTR_GHG | Greenhouse gas emissions in MTCO2e of WEIM transfers into California (resource-specific)
ATTR_AVG_EM_RATE | Average emissions rate of WEIM transfers into California
CAISO PUBLIC

## AER_SUMMARY
TRADE_DT | TRADE_HR | GEN_MWH | IMP_MWH | EXP_MWH | GEN_GHG | IMP_GHG | EXP_GHG | AVG_EM_RATE | ATTR_MWH | ATTR_GHG | ATTR_AVG_EM_RATE
3/1/2024 | 1 | 69911 | 11512 | -10759 | 17580 | 4927 | -4605 | 0.25334 | 0 | 0 | 0
3/1/2024 | 2 | 68335 | 11178 | -10556 | 17119 | 4784 | -4518 | 0.25211 | 200 | 0 | 0
3/1/2024 | 3 | 67442 | 10930 | -10263 | 16982 | 4678 | -4393 | 0.25352 | 349 | 0 | 0
3/1/2024 | 4 | 68045 | 10670 | -10062 | 17422 | 4567 | -4307 | 0.25756 | 47 | 0 | 0
3/1/2024 | 5 | 70600 | 11350 | -10668 | 17972 | 4858 | -4566 | 0.25622 | 0 | 0 | 0
3/1/2024 | 6 | 75476 | 11644 | -10976 | 18685 | 4983 | -4698 | 0.24913 | 9 | 0 | 0
3/1/2024 | 7 | 81043 | 10325 | -9701 | 18956 | 4419 | -4152 | 0.23538 | 694 | 0 | 0
3/1/2024 | 8 | 82764 | 9749 | -9396 | 15972 | 4173 | -4021 | 0.19399 | 116 | 0 | 0
3/1/2024 | 9 | 81983 | 9310 | -9777 | 13909 | 3985 | -4185 | 0.16818 | 13 | 0 | 0
3/1/2024 | 10 | 80528 | 9565 | -9994 | 13110 | 4094 | -4277 | 0.16139 | 0 | 0 | 0
3/1/2024 | 11 | 78272 | 9901 | -10083 | 12880 | 4238 | -4316 | 0.16394 | 0 | 0 | 0
3/1/2024 | 12 | 77043 | 10134 | -10492 | 12800 | 4337 | -4491 | 0.16491 | 0 | 0 | 0
3/1/2024 | 13 | 76024 | 10204 | -10220 | 12660 | 4367 | -4374 | 0.16647 | 0 | 0 | 0
3/1/2024 | 14 | 74734 | 9791 | -10023 | 12561 | 4190 | -4290 | 0.16726 | 0 | 0 | 0
3/1/2024 | 15 | 74591 | 10039 | -10099 | 12506 | 4297 | -4322 | 0.16746 | 0 | 0 | 0
3/1/2024 | 16 | 76634 | 10048 | -10271 | 12792 | 4300 | -4396 | 0.16615 | 0 | 0 | 0
3/1/2024 | 17 | 79763 | 10336 | -9650 | 15933 | 4424 | -4130 | 0.20171 | 0 | 0 | 0
3/1/2024 | 18 | 84768 | 11116 | -10609 | 18886 | 4758 | -4540 | 0.22403 | 0 | 0 | 0
3/1/2024 | 19 | 86262 | 11529 | -10724 | 19945 | 4934 | -4590 | 0.23303 | 0 | 0 | 0
3/1/2024 | 20 | 84572 | 11663 | -10895 | 20385 | 4992 | -4663 | 0.24272 | 13 | 0 | 0
3/1/2024 | 21 | 82040 | 11362 | -10331 | 20648 | 4863 | -4422 | 0.25387 | 54 | 0 | 0
3/1/2024 | 22 | 78837 | 11558 | -10261 | 20517 | 4947 | -4392 | 0.26296 | 489 | 25 | 0.051125
3/1/2024 | 23 | 75551 | 12876 | -11544 | 20013 | 5511 | -4941 | 0.26772 | 32 | 0 | 0
3/1/2024 | 24 | 72017 | 12120 | -10901 | 19650 | 5188 | -4666 | 0.27544 | 0 | 0 | 0
3/2/2024 | 1 | 69402 | 11692 | -10335 | 18659 | 5004 | -4423 | 0.27191 | 0 | 0 | 0
3/2/2024 | 2 | 67365 | 11848 | -10312 | 17858 | 5071 | -4414 | 0.26872 | 199 | 0 | 0
3/2/2024 | 3 | 66830 | 11806 | -10478 | 17533 | 5053 | -4484 | 0.26559 | 144 | 0 | 0
3/2/2024 | 4 | 66543 | 11636 | -10367 | 17848 | 4980 | -4437 | 0.27121 | 0 | 0 | 0
3/2/2024 | 5 | 67373 | 11830 | -10474 | 17971 | 5063 | -4483 | 0.26992 | 58 | 0 | 0
3/2/2024 | 6 | 69704 | 12101 | -10578 | 18200 | 5179 | -4527 | 0.26467 | 268 | 1 | 0.0037313
3/2/2024 | 7 | 72064 | 10961 | -9507 | 17322 | 4691 | -4069 | 0.24408 | 1074 | 210 | 0.19553
3/2/2024 | 8 | 73977 | 11333 | -10069 | 14518 | 4851 | -4310 | 0.20014 | 89 | 4 | 0.044944
3/2/2024 | 9 | 75942 | 10306 | -9790 | 12999 | 4411 | -4190 | 0.17291 | 0 | 0 | 0
3/2/2024 | 10 | 75836 | 10395 | -10256 | 12440 | 4449 | -4390 | 0.16451 | 0 | 0 | 0
3/2/2024 | 11 | 73535 | 10615 | -10162 | 11839 | 4543 | -4349 | 0.16263 | 0 | 0 | 0
3/2/2024 | 12 | 72197 | 10631 | -10317 | 11749 | 4550 | -4415 | 0.16389 | 0 | 0 | 0
3/2/2024 | 13 | 71453 | 11128 | -10851 | 11355 | 4763 | -4644 | 0.15996 | 0 | 0 | 0
3/2/2024 | 14 | 71304 | 10931 | -10242 | 11377 | 4679 | -4383 | 0.16214 | 0 | 0 | 0
3/2/2024 | 15 | 71729 | 10845 | -10004 | 11493 | 4642 | -4282 | 0.16333 | 0 | 0 | 0
3/2/2024 | 16 | 74190 | 10351 | -9396 | 12925 | 4430 | -4021 | 0.17744 | 0 | 0 | 0
3/2/2024 | 17 | 76864 | 10899 | -9598 | 15246 | 4665 | -4108 | 0.20217 | 220 | 0 | 0
3/2/2024 | 18 | 81396 | 12313 | -11250 | 17868 | 5270 | -4815 | 0.22221 | 0 | 0 | 0
3/2/2024 | 19 | 83558 | 12166 | -10789 | 19206 | 5207 | -4618 | 0.23306 | 259 | 0 | 0
3/2/2024 | 20 | 82443 | 12393 | -10972 | 19073 | 5304 | -4696 | 0.23468 | 492 | 0 | 0
3/2/2024 | 21 | 80465 | 12304 | -10705 | 19362 | 5266 | -4582 | 0.24427 | 574 | 0 | 0
3/2/2024 | 22 | 77744 | 12527 | -10478 | 19313 | 5362 | -4485 | 0.25303 | 359 | 1 | 0.0027855
3/2/2024 | 23 | 74794 | 12896 | -10968 | 19067 | 5519 | -4694 | 0.25927 | 0 | 0 | 0
3/2/2024 | 24 | 72012 | 13044 | -11310 | 19207 | 5583 | -4840 | 0.27052 | 317 | 6 | 0.018927
3/3/2024 | 1 | 69333 | 11054 | -9400 | 18699 | 4731 | -4023 | 0.27339 | 1305 | 213 | 0.16322
3/3/2024 | 2 | 68451 | 9973 | -8742 | 18856 | 4269 | -3742 | 0.27816 | 1001 | 116 | 0.11588
3/3/2024 | 3 | 67500 | 10204 | -8923 | 18591 | 4367 | -3819 | 0.27826 | 581 | 11 | 0.018933
3/3/2024 | 4 | 67399 | 10177 | -8970 | 18444 | 4356 | -3839 | 0.27638 | 0 | 0 | 0
3/3/2024 | 5 | 68090 | 10464 | -9228 | 18452 | 4479 | -3950 | 0.27379 | 0 | 0 | 0
3/3/2024 | 6 | 70322 | 10447 | -9652 | 18583 | 4471 | -4131 | 0.26608 | 2 | 0 | 0
3/3/2024 | 7 | 72277 | 10434 | -9637 | 18135 | 4466 | -4125 | 0.25284 | 98 | 13 | 0.13265
3/3/2024 | 8 | 72941 | 10456 | -9653 | 15087 | 4475 | -4131 | 0.20925 | 0 | 0 | 0
3/3/2024 | 9 | 73205 | 10313 | -10247 | 13418 | 4414 | -4386 | 0.18351 | 0 | 0 | 0
3/3/2024 | 10 | 72940 | 10398 | -10158 | 13141 | 4450 | -4348 | 0.18096 | 0 | 0 | 0
3/3/2024 | 11 | 71947 | 10517 | -10270 | 12829 | 4501 | -4396 | 0.17916 | 0 | 0 | 0
3/3/2024 | 12 | 70241 | 11022 | -10515 | 12503 | 4717 | -4500 | 0.17979 | 0 | 0 | 0
3/3/2024 | 13 | 69672 | 11559 | -11234 | 12627 | 4947 | -4808 | 0.18238 | 1 | 0 | 0
3/3/2024 | 14 | 69860 | 11816 | -11217 | 12739 | 5057 | -4801 | 0.18443 | 14 | 0 | 0
3/3/2024 | 15 | 71088 | 11103 | -10620 | 12807 | 4752 | -4545 | 0.18183 | 0 | 0 | 0
3/3/2024 | 16 | 72913 | 10685 | -10121 | 13376 | 4573 | -4332 | 0.18532 | 0 | 0 | 0
3/3/2024 | 17 | 76144 | 10248 | -9193 | 15465 | 4386 | -3934 | 0.20618 | 0 | 0 | 0
3/3/2024 | 18 | 82134 | 11426 | -10315 | 18416 | 4890 | -4415 | 0.22693 | 0 | 0 | 0
3/3/2024 | 19 | 85704 | 11385 | -10548 | 19599 | 4873 | -4515 | 0.23061 | 122 | 0 | 0
3/3/2024 | 20 | 85144 | 11262 | -10792 | 19637 | 4820 | -4619 | 0.23171 | 237 | 0 | 0
3/3/2024 | 21 | 82930 | 11550 | -10811 | 19726 | 4943 | -4627 | 0.23954 | 228 | 0 | 0
3/3/2024 | 22 | 78918 | 11750 | -10398 | 19359 | 5029 | -4450 | 0.24839 | 205 | 0 | 0
3/3/2024 | 23 | 74260 | 11730 | -10149 | 18952 | 5020 | -4344 | 0.2588 | 323 | 0 | 0
3/3/2024 | 24 | 70409 | 11087 | -9238 | 18286 | 4745 | -3954 | 0.26401 | 649 | 0 | 0
3/4/2024 | 1 | 68860 | 10908 | -9337 | 17837 | 4669 | -3996 | 0.26281 | 517 | 0 | 0
3/4/2024 | 2 | 67721 | 10887 | -9347 | 17474 | 4660 | -4000 | 0.26182 | 681 | 13 | 0.01909
3/4/2024 | 3 | 67460 | 10900 | -9501 | 17343 | 4665 | -4067 | 0.26055 | 635 | 81 | 0.12756
3/4/2024 | 4 | 68675 | 10508 | -9434 | 17952 | 4497 | -4038 | 0.26396 | 410 | 35 | 0.085366
3/4/2024 | 5 | 71837 | 10645 | -9639 | 18723 | 4556 | -4125 | 0.26295 | 137 | 0 | 0
3/4/2024 | 6 | 77785 | 10849 | -10088 | 19946 | 4643 | -4318 | 0.25808 | 16 | 0 | 0
3/4/2024 | 7 | 83369 | 10653 | -9769 | 20541 | 4559 | -4181 | 0.24829 | 868 | 144 | 0.1659
3/4/2024 | 8 | 84777 | 10613 | -9825 | 17520 | 4542 | -4205 | 0.2087 | 399 | 17 | 0.042607
3/4/2024 | 9 | 82653 | 11540 | -11003 | 14475 | 4939 | -4709 | 0.17676 | 0 | 0 | 0
3/4/2024 | 10 | 80330 | 10796 | -11294 | 13520 | 4621 | -4834 | 0.16669 | 0 | 0 | 0
3/4/2024 | 11 | 77508 | 11284 | -12094 | 13211 | 4830 | -5176 | 0.16774 | 0 | 0 | 0
3/4/2024 | 12 | 75947 | 11366 | -12137 | 13076 | 4865 | -5195 | 0.16955 | 0 | 0 | 0
3/4/2024 | 13 | 74851 | 11519 | -12430 | 12988 | 4930 | -5320 | 0.17038 | 0 | 0 | 0
3/4/2024 | 14 | 75137 | 11515 | -12511 | 13103 | 4929 | -5355 | 0.17099 | 0 | 0 | 0
3/4/2024 | 15 | 75632 | 11351 | -12343 | 13378 | 4858 | -5283 | 0.17354 | 0 | 0 | 0
3/4/2024 | 16 | 77670 | 11039 | -11772 | 14124 | 4725 | -5039 | 0.1795 | 0 | 0 | 0
3/4/2024 | 17 | 80575 | 10152 | -9708 | 16454 | 4345 | -4155 | 0.20543 | 110 | 0 | 0
3/4/2024 | 18 | 86304 | 10699 | -10317 | 20175 | 4579 | -4416 | 0.23462 | 249 | 0 | 0
3/4/2024 | 19 | 89703 | 11038 | -10693 | 21491 | 4724 | -4577 | 0.24029 | 162 | 0 | 0
3/4/2024 | 20 | 88875 | 11168 | -10865 | 21536 | 4780 | -4650 | 0.24295 | 678 | 0 | 0
3/4/2024 | 21 | 86600 | 11378 | -10977 | 21409 | 4870 | -4698 | 0.24805 | 440 | 0 | 0
3/4/2024 | 22 | 82601 | 10634 | -10336 | 21156 | 4551 | -4424 | 0.25673 | 541 | 39 | 0.072089
3/4/2024 | 23 | 77744 | 10420 | -10209 | 20909 | 4460 | -4370 | 0.26937 | 448 | 0 | 0
3/4/2024 | 24 | 74718 | 9479 | -9837 | 20526 | 4057 | -4210 | 0.27398 | 3 | 0 | 0
3/5/2024 | 1 | 72142 | 9394 | -9232 | 20369 | 4020 | -3951 | 0.28267 | 0 | 0 | 0
3/5/2024 | 2 | 70471 | 9295 | -8955 | 20277 | 3978 | -3833 | 0.2884 | 0 | 0 | 0
3/5/2024 | 3 | 69849 | 9292 | -8803 | 20385 | 3977 | -3768 | 0.29279 | 86 | 0 | 0
3/5/2024 | 4 | 70443 | 9254 | -8717 | 20487 | 3961 | -3731 | 0.29187 | 49 | 0 | 0
3/5/2024 | 5 | 73405 | 9645 | -9284 | 20686 | 4128 | -3973 | 0.28253 | 0 | 0 | 0
3/5/2024 | 6 | 78908 | 10514 | -9941 | 21224 | 4500 | -4255 | 0.27011 | 198 | 0 | 0
3/5/2024 | 7 | 84346 | 11640 | -10848 | 21625 | 4982 | -4643 | 0.25798 | 1173 | 159 | 0.13555
3/5/2024 | 8 | 85196 | 11373 | -10582 | 18163 | 4868 | -4529 | 0.21517 | 315 | 26 | 0.08254
3/5/2024 | 9 | 82394 | 11612 | -11679 | 15397 | 4970 | -4999 | 0.18667 | 0 | 0 | 0
3/5/2024 | 10 | 79993 | 11574 | -11995 | 14919 | 4954 | -5134 | 0.18523 | 0 | 0 | 0
3/5/2024 | 11 | 77033 | 11424 | -12241 | 14236 | 4889 | -5239 | 0.18219 | 0 | 0 | 0
3/5/2024 | 12 | 74419 | 11299 | -12035 | 14019 | 4836 | -5151 | 0.18599 | 0 | 0 | 0
3/5/2024 | 13 | 73210 | 11381 | -12189 | 14051 | 4871 | -5217 | 0.18929 | 0 | 0 | 0
3/5/2024 | 14 | 72789 | 11270 | -12163 | 14141 | 4823 | -5206 | 0.19136 | 0 | 0 | 0
3/5/2024 | 15 | 73384 | 11251 | -12173 | 14424 | 4816 | -5210 | 0.19362 | 0 | 0 | 0
3/5/2024 | 16 | 75127 | 11369 | -12035 | 15132 | 4866 | -5151 | 0.19939 | 0 | 0 | 0
3/5/2024 | 17 | 77746 | 10686 | -10212 | 16971 | 4574 | -4371 | 0.21956 | 0 | 0 | 0
3/5/2024 | 18 | 82960 | 11570 | -10687 | 20577 | 4952 | -4574 | 0.24993 | 639 | 0 | 0
3/5/2024 | 19 | 87015 | 11525 | -10749 | 22245 | 4933 | -4600 | 0.25718 | 772 | 0 | 0
3/5/2024 | 20 | 86982 | 11638 | -10647 | 22111 | 4981 | -4557 | 0.25616 | 573 | 0 | 0
3/5/2024 | 21 | 85050 | 11848 | -10961 | 21949 | 5071 | -4691 | 0.25983 | 732 | 3 | 0.0040984
3/5/2024 | 22 | 80856 | 10899 | -9974 | 21161 | 4665 | -4269 | 0.26359 | 971 | 28 | 0.028836
3/5/2024 | 23 | 77146 | 9826 | -9209 | 20628 | 4205 | -3941 | 0.26866 | 568 | 8 | 0.014085
3/5/2024 | 24 | 73650 | 9707 | -9665 | 20131 | 4154 | -4137 | 0.27341 | 569 | 0 | 0
3/6/2024 | 1 | 71109 | 9995 | -9417 | 19976 | 4278 | -4031 | 0.2821 | 576 | 0 | 0
3/6/2024 | 2 | 69945 | 9908 | -9240 | 19961 | 4241 | -3955 | 0.28673 | 414 | 0 | 0
3/6/2024 | 3 | 69490 | 9908 | -9271 | 19875 | 4241 | -3968 | 0.28731 | 6 | 0 | 0
3/6/2024 | 4 | 70250 | 9929 | -9271 | 20034 | 4249 | -3968 | 0.2865 | 44 | 0 | 0
3/6/2024 | 5 | 73038 | 10243 | -9640 | 20371 | 4384 | -4126 | 0.28013 | 0 | 0 | 0
3/6/2024 | 6 | 78692 | 10492 | -10110 | 21032 | 4491 | -4327 | 0.26805 | 0 | 0 | 0
3/6/2024 | 7 | 84507 | 10839 | -10544 | 21352 | 4639 | -4513 | 0.25327 | 317 | 12 | 0.037855
3/6/2024 | 8 | 86220 | 10857 | -10314 | 19818 | 4647 | -4414 | 0.2311 | 1563 | 364 | 0.23289
3/6/2024 | 9 | 83853 | 10840 | -10740 | 17156 | 4639 | -4597 | 0.20485 | 76 | 0 | 0
3/6/2024 | 10 | 80725 | 10552 | -10796 | 16036 | 4516 | -4621 | 0.19795 | 0 | 0 | 0
3/6/2024 | 11 | 76884 | 10463 | -10596 | 15528 | 4478 | -4535 | 0.20157 | 0 | 0 | 0
3/6/2024 | 12 | 75614 | 10662 | -11048 | 15243 | 4563 | -4729 | 0.20042 | 0 | 0 | 0
3/6/2024 | 13 | 76247 | 10708 | -11334 | 15575 | 4583 | -4851 | 0.20242 | 0 | 0 | 0
3/6/2024 | 14 | 77641 | 10613 | -11087 | 16581 | 4542 | -4745 | 0.21224 | 169 | 0 | 0
3/6/2024 | 15 | 77917 | 10770 | -11132 | 17043 | 4610 | -4765 | 0.21776 | 399 | 1 | 0.0025063
3/6/2024 | 16 | 79842 | 10107 | -10299 | 18279 | 4326 | -4408 | 0.22846 | 896 | 72 | 0.080357
3/6/2024 | 17 | 81533 | 10229 | -9624 | 20485 | 4378 | -4119 | 0.25255 | 1783 | 319 | 0.17891
3/6/2024 | 18 | 85225 | 11095 | -10449 | 22421 | 4749 | -4472 | 0.26433 | 585 | 24 | 0.041026
3/6/2024 | 19 | 87620 | 11378 | -10726 | 23051 | 4870 | -4591 | 0.2643 | 629 | 0 | 0
3/6/2024 | 20 | 86246 | 11890 | -10998 | 22719 | 5089 | -4707 | 0.26511 | 668 | 18 | 0.026946
3/6/2024 | 21 | 83729 | 11336 | -10735 | 22119 | 4852 | -4594 | 0.26535 | 816 | 63 | 0.077206
3/6/2024 | 22 | 80415 | 10903 | -10469 | 21671 | 4667 | -4481 | 0.27034 | 1270 | 167 | 0.1315
3/6/2024 | 23 | 76683 | 10733 | -10630 | 21186 | 4594 | -4550 | 0.27648 | 631 | 3 | 0.0047544
3/6/2024 | 24 | 72906 | 10806 | -10463 | 20601 | 4625 | -4478 | 0.28325 | 126 | 0 | 0
3/7/2024 | 1 | 71656 | 9810 | -9363 | 20332 | 4199 | -4007 | 0.28465 | 0 | 0 | 0
3/7/2024 | 2 | 70160 | 9707 | -9133 | 20069 | 4154 | -3909 | 0.28719 | 15 | 0 | 0
3/7/2024 | 3 | 69545 | 9483 | -8887 | 19904 | 4059 | -3804 | 0.28741 | 101 | 0 | 0
3/7/2024 | 4 | 70298 | 9526 | -8946 | 20130 | 4077 | -3829 | 0.28751 | 0 | 0 | 0
3/7/2024 | 5 | 73100 | 9306 | -8772 | 20351 | 3983 | -3755 | 0.27948 | 0 | 0 | 0
3/7/2024 | 6 | 78695 | 9963 | -9363 | 21103 | 4264 | -4007 | 0.26937 | 5 | 0 | 0
3/7/2024 | 7 | 84621 | 10543 | -9597 | 22004 | 4512 | -4108 | 0.26188 | 1307 | 183 | 0.14002
3/7/2024 | 8 | 86189 | 10577 | -9835 | 20380 | 4527 | -4209 | 0.2381 | 376 | 24 | 0.06383
3/7/2024 | 9 | 84090 | 11166 | -10963 | 17622 | 4779 | -4692 | 0.21009 | 210 | 0 | 0
3/7/2024 | 10 | 80525 | 11262 | -11386 | 15844 | 4820 | -4873 | 0.1964 | 36 | 0 | 0
3/7/2024 | 11 | 77382 | 11984 | -11893 | 15361 | 5129 | -5090 | 0.19878 | 0 | 0 | 0
3/7/2024 | 12 | 74609 | 12704 | -11998 | 15327 | 5437 | -5135 | 0.20752 | 0 | 0 | 0
3/7/2024 | 13 | 73538 | 13102 | -12434 | 15325 | 5608 | -5322 | 0.21037 | 0 | 0 | 0
3/7/2024 | 14 | 72484 | 13053 | -12522 | 15151 | 5587 | -5359 | 0.21063 | 0 | 0 | 0
3/7/2024 | 15 | 71258 | 13308 | -12482 | 15011 | 5696 | -5342 | 0.21315 | 0 | 0 | 0
3/7/2024 | 16 | 72354 | 12387 | -11653 | 15152 | 5302 | -4987 | 0.21162 | 0 | 0 | 0
3/7/2024 | 17 | 76177 | 11722 | -10178 | 17018 | 5017 | -4356 | 0.22747 | 0 | 0 | 0
3/7/2024 | 18 | 80743 | 12742 | -10609 | 20293 | 5453 | -4541 | 0.25586 | 0 | 0 | 0
3/7/2024 | 19 | 83838 | 13252 | -11100 | 21323 | 5672 | -4751 | 0.25868 | 37 | 0 | 0
3/7/2024 | 20 | 82925 | 13344 | -11144 | 21409 | 5711 | -4770 | 0.26256 | 0 | 0 | 0
3/7/2024 | 21 | 81659 | 12425 | -10434 | 21702 | 5318 | -4466 | 0.26962 | 3 | 0 | 0
3/7/2024 | 22 | 78339 | 11951 | -9644 | 21144 | 5115 | -4128 | 0.27442 | 0 | 0 | 0
3/7/2024 | 23 | 74007 | 11620 | -9148 | 21114 | 4973 | -3915 | 0.28991 | 0 | 0 | 0
3/7/2024 | 24 | 70245 | 11926 | -9090 | 20814 | 5104 | -3890 | 0.30142 | 0 | 0 | 0
3/8/2024 | 1 | 68799 | 11776 | -9065 | 21222 | 5040 | -3880 | 0.31299 | 0 | 0 | 0
3/8/2024 | 2 | 67577 | 11346 | -8724 | 21156 | 4856 | -3734 | 0.31735 | 14 | 0 | 0
3/8/2024 | 3 | 66999 | 11165 | -8634 | 21083 | 4779 | -3695 | 0.31881 | 0 | 0 | 0
3/8/2024 | 4 | 67458 | 11372 | -8784 | 21227 | 4867 | -3759 | 0.31886 | 0 | 0 | 0
3/8/2024 | 5 | 70118 | 11594 | -9037 | 21405 | 4962 | -3868 | 0.30958 | 90 | 0 | 0
3/8/2024 | 6 | 75265 | 12720 | -10150 | 21784 | 5444 | -4344 | 0.29401 | 343 | 0 | 0
3/8/2024 | 7 | 80786 | 12894 | -10212 | 22187 | 5519 | -4371 | 0.27957 | 706 | 17 | 0.024079
3/8/2024 | 8 | 81437 | 12014 | -9541 | 18876 | 5142 | -4084 | 0.23756 | 378 | 1 | 0.0026455
3/8/2024 | 9 | 78456 | 13001 | -11338 | 15161 | 5564 | -4852 | 0.19812 | 0 | 0 | 0
3/8/2024 | 10 | 74925 | 13244 | -12039 | 13809 | 5669 | -5153 | 0.18816 | 0 | 0 | 0
3/8/2024 | 11 | 71281 | 13434 | -12459 | 13277 | 5750 | -5332 | 0.18953 | 0 | 0 | 0
3/8/2024 | 12 | 68542 | 13602 | -12493 | 13209 | 5822 | -5347 | 0.19647 | 0 | 0 | 0
3/8/2024 | 13 | 67016 | 13582 | -12310 | 13322 | 5813 | -5269 | 0.20305 | 0 | 0 | 0
3/8/2024 | 14 | 66442 | 13495 | -12282 | 13024 | 5776 | -5257 | 0.20018 | 0 | 0 | 0
3/8/2024 | 15 | 66607 | 13253 | -12127 | 13011 | 5672 | -5190 | 0.19921 | 0 | 0 | 0
3/8/2024 | 16 | 68240 | 13422 | -12196 | 13412 | 5744 | -5220 | 0.20062 | 0 | 0 | 0
3/8/2024 | 17 | 72817 | 11712 | -10320 | 15792 | 5013 | -4417 | 0.22084 | 31 | 0 | 0
3/8/2024 | 18 | 77906 | 12981 | -11232 | 19818 | 5556 | -4807 | 0.2582 | 110 | 0 | 0
3/8/2024 | 19 | 80459 | 13201 | -11189 | 21282 | 5650 | -4789 | 0.26849 | 575 | 0 | 0
3/8/2024 | 20 | 79270 | 13699 | -11444 | 20830 | 5863 | -4898 | 0.26734 | 1115 | 2 | 0.0017937
3/8/2024 | 21 | 77496 | 13750 | -11356 | 20775 | 5885 | -4860 | 0.27288 | 1116 | 46 | 0.041219
3/8/2024 | 22 | 75032 | 13304 | -10821 | 20283 | 5694 | -4631 | 0.27538 | 1291 | 13 | 0.01007
3/8/2024 | 23 | 71485 | 12972 | -10209 | 20130 | 5552 | -4370 | 0.28704 | 832 | 37 | 0.044471
3/8/2024 | 24 | 68920 | 11935 | -9565 | 19976 | 5108 | -4094 | 0.29443 | 950 | 47 | 0.049474
3/9/2024 | 1 | 66748 | 11840 | -9362 | 19912 | 5068 | -4007 | 0.30296 | 445 | 0 | 0
3/9/2024 | 2 | 65210 | 11808 | -9240 | 19604 | 5054 | -3955 | 0.30545 | 330 | 0 | 0
3/9/2024 | 3 | 64445 | 11595 | -9089 | 19386 | 4963 | -3890 | 0.30558 | 480 | 0 | 0
3/9/2024 | 4 | 64340 | 11673 | -9137 | 19411 | 4996 | -3911 | 0.30648 | 286 | 0 | 0
3/9/2024 | 5 | 65590 | 11537 | -8904 | 19709 | 4938 | -3811 | 0.30541 | 223 | 0 | 0
3/9/2024 | 6 | 67510 | 11971 | -9029 | 20124 | 5124 | -3865 | 0.30351 | 190 | 0 | 0
3/9/2024 | 7 | 69685 | 11778 | -8977 | 19049 | 5041 | -3842 | 0.27934 | 633 | 0 | 0
3/9/2024 | 8 | 70199 | 11230 | -8922 | 15192 | 4806 | -3819 | 0.22314 | 216 | 0 | 0
3/9/2024 | 9 | 70228 | 12070 | -11030 | 12776 | 5166 | -4721 | 0.18551 | 0 | 0 | 0
3/9/2024 | 10 | 68758 | 11850 | -11308 | 12103 | 5072 | -4840 | 0.17799 | 0 | 0 | 0
3/9/2024 | 11 | 66548 | 11599 | -10890 | 11782 | 4965 | -4661 | 0.1797 | 0 | 0 | 0
3/9/2024 | 12 | 64561 | 11645 | -10977 | 11539 | 4984 | -4698 | 0.18128 | 0 | 0 | 0
3/9/2024 | 13 | 62879 | 12278 | -11592 | 11222 | 5255 | -4961 | 0.18117 | 0 | 0 | 0
3/9/2024 | 14 | 62462 | 12222 | -11638 | 10799 | 5231 | -4981 | 0.17525 | 0 | 0 | 0
3/9/2024 | 15 | 63502 | 12557 | -12068 | 10932 | 5374 | -5165 | 0.1741 | 0 | 0 | 0
3/9/2024 | 16 | 65340 | 12558 | -12000 | 11556 | 5375 | -5136 | 0.17899 | 0 | 0 | 0
3/9/2024 | 17 | 68790 | 11805 | -10011 | 13687 | 5053 | -4285 | 0.20479 | 306 | 10 | 0.03268
3/9/2024 | 18 | 73276 | 13634 | -11100 | 16756 | 5835 | -4751 | 0.23533 | 878 | 46 | 0.052392
3/9/2024 | 19 | 76676 | 13441 | -10656 | 17915 | 5753 | -4561 | 0.24046 | 939 | 14 | 0.014909
3/9/2024 | 20 | 75631 | 13162 | -10270 | 17898 | 5633 | -4395 | 0.2437 | 865 | 40 | 0.046243
3/9/2024 | 21 | 73552 | 12682 | -9486 | 17674 | 5428 | -4060 | 0.24811 | 629 | 0 | 0
3/9/2024 | 22 | 71103 | 12417 | -9056 | 17761 | 5314 | -3876 | 0.25783 | 831 | 55 | 0.066185
3/9/2024 | 23 | 68138 | 12426 | -9271 | 17873 | 5318 | -3968 | 0.26963 | 542 | 0 | 0
3/9/2024 | 24 | 65619 | 12159 | -9092 | 17853 | 5204 | -3891 | 0.27904 | 618 | 0 | 0
3/10/2024 | 1 | 64263 | 11028 | -8506 | 17288 | 4720 | -3640 | 0.27503 | 740 | 3 | 0.0040541
3/10/2024 | 2 | 62952 | 10918 | -8512 | 16894 | 4673 | -3643 | 0.27424 | 726 | 0 | 0
3/10/2024 | 4 | 62026 | 10923 | -8422 | 16386 | 4675 | -3605 | 0.27052 | 886 | 58 | 0.065463
3/10/2024 | 5 | 62451 | 10852 | -8525 | 16278 | 4645 | -3649 | 0.26666 | 862 | 47 | 0.054524
3/10/2024 | 6 | 63285 | 11502 | -8823 | 16208 | 4923 | -3776 | 0.2631 | 845 | 17 | 0.020118
3/10/2024 | 7 | 65708 | 11765 | -9005 | 16154 | 5036 | -3854 | 0.2532 | 1033 | 11 | 0.010649
3/10/2024 | 8 | 68008 | 11673 | -9142 | 15726 | 4996 | -3913 | 0.23829 | 742 | 29 | 0.039084
3/10/2024 | 9 | 68541 | 11227 | -9747 | 13266 | 4805 | -4172 | 0.1985 | 433 | 3 | 0.0069284
3/10/2024 | 10 | 68060 | 11438 | -10998 | 11265 | 4895 | -4707 | 0.1672 | 0 | 0 | 0
3/10/2024 | 11 | 66707 | 11487 | -11383 | 10957 | 4916 | -4872 | 0.16466 | 0 | 0 | 0
3/10/2024 | 12 | 64486 | 11528 | -11232 | 10798 | 4934 | -4807 | 0.16864 | 0 | 0 | 0
3/10/2024 | 13 | 63464 | 11683 | -11675 | 10687 | 5000 | -4997 | 0.16842 | 0 | 0 | 0
3/10/2024 | 14 | 63760 | 11865 | -12072 | 10327 | 5078 | -5167 | 0.16109 | 0 | 0 | 0
3/10/2024 | 15 | 63440 | 11959 | -12097 | 10223 | 5119 | -5177 | 0.16058 | 0 | 0 | 0
3/10/2024 | 16 | 65000 | 12521 | -12546 | 10220 | 5359 | -5370 | 0.15712 | 0 | 0 | 0
3/10/2024 | 17 | 67738 | 12705 | -11792 | 11186 | 5438 | -5047 | 0.16864 | 0 | 0 | 0
3/10/2024 | 18 | 71922 | 12705 | -10836 | 13818 | 5438 | -4638 | 0.1981 | 215 | 0 | 0
3/10/2024 | 19 | 74966 | 13447 | -11410 | 15995 | 5755 | -4883 | 0.21904 | 785 | 33 | 0.042038
3/10/2024 | 20 | 78336 | 13575 | -11832 | 16747 | 5810 | -5064 | 0.21845 | 1077 | 88 | 0.081708
3/10/2024 | 21 | 77181 | 13385 | -11408 | 16617 | 5729 | -4882 | 0.22062 | 943 | 47 | 0.049841
3/10/2024 | 22 | 74209 | 13262 | -10935 | 16863 | 5676 | -4680 | 0.23334 | 954 | 0 | 0
3/10/2024 | 23 | 70230 | 13117 | -10650 | 16861 | 5614 | -4558 | 0.24646 | 690 | 50 | 0.072464
3/10/2024 | 24 | 65857 | 13002 | -10270 | 16168 | 5565 | -4395 | 0.25278 | 864 | 26 | 0.030093
3/11/2024 | 1 | 63157 | 13412 | -10515 | 16025 | 5740 | -4501 | 0.26136 | 852 | 0 | 0
3/11/2024 | 2 | 61684 | 13291 | -10204 | 15668 | 5689 | -4367 | 0.26231 | 825 | 0 | 0
3/11/2024 | 3 | 60860 | 13301 | -10285 | 15235 | 5693 | -4402 | 0.25872 | 638 | 0 | 0
3/11/2024 | 4 | 61291 | 13130 | -10168 | 15352 | 5620 | -4352 | 0.25866 | 313 | 0 | 0
3/11/2024 | 5 | 63550 | 12936 | -10056 | 16233 | 5537 | -4304 | 0.26292 | 172 | 0 | 0
3/11/2024 | 6 | 68445 | 12742 | -10170 | 17537 | 5453 | -4353 | 0.26243 | 258 | 0 | 0
3/11/2024 | 7 | 75019 | 12640 | -10222 | 18324 | 5410 | -4375 | 0.25 | 577 | 0 | 0
3/11/2024 | 8 | 80096 | 12580 | -10280 | 18646 | 5384 | -4400 | 0.23824 | 667 | 8 | 0.011994
3/11/2024 | 9 | 80010 | 11398 | -10077 | 16725 | 4878 | -4313 | 0.21259 | 46 | 0 | 0
3/11/2024 | 10 | 77079 | 11460 | -10776 | 13583 | 4905 | -4612 | 0.17844 | 0 | 0 | 0
3/11/2024 | 11 | 74501 | 11575 | -11291 | 11601 | 4954 | -4832 | 0.15676 | 0 | 0 | 0
3/11/2024 | 12 | 71684 | 11631 | -11272 | 11091 | 4978 | -4824 | 0.15609 | 0 | 0 | 0
3/11/2024 | 13 | 69950 | 11869 | -11451 | 10917 | 5080 | -4901 | 0.15769 | 0 | 0 | 0
3/11/2024 | 14 | 69237 | 11862 | -11529 | 10642 | 5077 | -4934 | 0.15502 | 0 | 0 | 0
3/11/2024 | 15 | 69155 | 12039 | -11733 | 10570 | 5153 | -5022 | 0.15406 | 0 | 0 | 0
3/11/2024 | 16 | 71020 | 11240 | -11448 | 10912 | 4811 | -4900 | 0.15284 | 0 | 0 | 0
3/11/2024 | 17 | 73979 | 11275 | -11427 | 11618 | 4826 | -4891 | 0.15649 | 0 | 0 | 0
3/11/2024 | 18 | 77570 | 10945 | -10548 | 13551 | 4685 | -4514 | 0.176 | 0 | 0 | 0
3/11/2024 | 19 | 82080 | 11379 | -10581 | 16836 | 4870 | -4529 | 0.20726 | 6 | 0 | 0
3/11/2024 | 20 | 84207 | 11939 | -11150 | 18085 | 5110 | -4772 | 0.21675 | 518 | 0 | 0
3/11/2024 | 21 | 81949 | 11875 | -10923 | 18166 | 5082 | -4675 | 0.22404 | 424 | 0 | 0
3/11/2024 | 22 | 78654 | 11503 | -10502 | 17938 | 4923 | -4495 | 0.23057 | 606 | 0 | 0
3/11/2024 | 23 | 73652 | 11490 | -10336 | 17455 | 4918 | -4424 | 0.23994 | 252 | 0 | 0
3/11/2024 | 24 | 68858 | 11449 | -9935 | 16689 | 4900 | -4252 | 0.24636 | 472 | 0 | 0
3/12/2024 | 1 | 65674 | 12691 | -11248 | 15453 | 5432 | -4814 | 0.23945 | 176 | 0 | 0
3/12/2024 | 2 | 63938 | 12409 | -11101 | 15205 | 5311 | -4751 | 0.24162 | 86 | 0 | 0
3/12/2024 | 3 | 62824 | 12568 | -11271 | 14973 | 5379 | -4824 | 0.24217 | 333 | 0 | 0
3/12/2024 | 4 | 62944 | 12409 | -11154 | 14987 | 5311 | -4774 | 0.24181 | 90 | 0 | 0
3/12/2024 | 5 | 64824 | 12868 | -11565 | 15196 | 5507 | -4950 | 0.23822 | 1 | 0 | 0
3/12/2024 | 6 | 69921 | 13024 | -11759 | 15957 | 5574 | -5033 | 0.23176 | 48 | 0 | 0
3/12/2024 | 7 | 76690 | 12178 | -11105 | 16281 | 5212 | -4753 | 0.21527 | 1100 | 44 | 0.04
3/12/2024 | 8 | 80821 | 11884 | -10812 | 16437 | 5087 | -4628 | 0.20632 | 1158 | 36 | 0.031088
3/12/2024 | 9 | 81891 | 10995 | -10625 | 15772 | 4706 | -4548 | 0.19365 | 1006 | 0 | 0
3/12/2024 | 10 | 79628 | 11079 | -11010 | 13762 | 4742 | -4712 | 0.17306 | 361 | 0 | 0
3/12/2024 | 11 | 77282 | 10812 | -11052 | 12217 | 4627 | -4730 | 0.15724 | 1 | 0 | 0
3/12/2024 | 12 | 74629 | 11175 | -11387 | 11205 | 4783 | -4874 | 0.14935 | 0 | 0 | 0
3/12/2024 | 13 | 72736 | 11376 | -11417 | 10849 | 4869 | -4887 | 0.14899 | 0 | 0 | 0
3/12/2024 | 14 | 71899 | 11382 | -11530 | 10280 | 4871 | -4935 | 0.14238 | 0 | 0 | 0
3/12/2024 | 15 | 71262 | 11399 | -11702 | 9647 | 4879 | -5009 | 0.13412 | 0 | 0 | 0
3/12/2024 | 16 | 71379 | 11535 | -12037 | 9629 | 4937 | -5152 | 0.13282 | 0 | 0 | 0
3/12/2024 | 17 | 72585 | 11496 | -11566 | 10569 | 4921 | -4950 | 0.14535 | 0 | 0 | 0
3/12/2024 | 18 | 74704 | 12795 | -11785 | 12134 | 5476 | -5044 | 0.16597 | 0 | 0 | 0
3/12/2024 | 19 | 78750 | 14560 | -13477 | 15397 | 6232 | -5768 | 0.19868 | 590 | 0 | 0
3/12/2024 | 20 | 81794 | 15039 | -14145 | 16641 | 6437 | -6054 | 0.20588 | 1082 | 0 | 0
3/12/2024 | 21 | 80936 | 15059 | -13960 | 16357 | 6445 | -5975 | 0.20512 | 647 | 0 | 0
3/12/2024 | 22 | 78069 | 15287 | -14030 | 16042 | 6543 | -6005 | 0.20901 | 836 | 2 | 0.0023923
3/12/2024 | 23 | 73638 | 14771 | -13680 | 15751 | 6322 | -5855 | 0.21702 | 171 | 0 | 0
3/12/2024 | 24 | 69634 | 14333 | -13170 | 14650 | 6135 | -5637 | 0.21396 | 32 | 0 | 0
3/13/2024 | 1 | 66785 | 13805 | -12064 | 14053 | 5909 | -5163 | 0.21596 | 522 | 0 | 0
3/13/2024 | 2 | 64755 | 13383 | -11592 | 13692 | 5728 | -4962 | 0.21726 | 739 | 0 | 0
3/13/2024 | 3 | 64013 | 13401 | -11567 | 13647 | 5735 | -4951 | 0.21916 | 685 | 0 | 0
3/13/2024 | 4 | 64194 | 13359 | -11508 | 13770 | 5718 | -4925 | 0.2205 | 547 | 0 | 0
3/13/2024 | 5 | 66571 | 13273 | -11690 | 14422 | 5681 | -5003 | 0.22156 | 341 | 0 | 0
3/13/2024 | 6 | 72154 | 13409 | -12107 | 15778 | 5739 | -5182 | 0.22238 | 257 | 0 | 0
3/13/2024 | 7 | 79060 | 13194 | -12041 | 16284 | 5647 | -5154 | 0.20916 | 1041 | 35 | 0.033622
3/13/2024 | 8 | 83095 | 12777 | -11693 | 16192 | 5469 | -5004 | 0.19788 | 1257 | 172 | 0.13683
3/13/2024 | 9 | 81784 | 12302 | -11372 | 13733 | 5265 | -4867 | 0.17084 | 77 | 0 | 0
3/13/2024 | 10 | 78149 | 11332 | -11130 | 10580 | 4850 | -4763 | 0.13614 | 0 | 0 | 0
3/13/2024 | 11 | 74422 | 10950 | -11020 | 9719 | 4687 | -4716 | 0.13033 | 0 | 0 | 0
3/13/2024 | 12 | 71873 | 10929 | -11424 | 9437 | 4677 | -4889 | 0.12924 | 0 | 0 | 0
3/13/2024 | 13 | 69531 | 11009 | -11728 | 9226 | 4712 | -5019 | 0.12961 | 0 | 0 | 0
3/13/2024 | 14 | 68094 | 11015 | -11735 | 9205 | 4714 | -5023 | 0.13204 | 0 | 0 | 0
3/13/2024 | 15 | 67225 | 10896 | -11645 | 9306 | 4663 | -4984 | 0.13516 | 0 | 0 | 0
3/13/2024 | 16 | 68034 | 10894 | -11768 | 9576 | 4663 | -5037 | 0.13702 | 0 | 0 | 0
3/13/2024 | 17 | 69864 | 11192 | -11523 | 9761 | 4790 | -4932 | 0.13834 | 0 | 0 | 0
3/13/2024 | 18 | 73259 | 11010 | -10362 | 11558 | 4712 | -4435 | 0.16013 | 0 | 0 | 0
3/13/2024 | 19 | 77630 | 12714 | -11578 | 15066 | 5442 | -4955 | 0.19746 | 339 | 0 | 0
3/13/2024 | 20 | 81354 | 12800 | -11879 | 16420 | 5478 | -5084 | 0.20436 | 906 | 0 | 0
3/13/2024 | 21 | 81220 | 12343 | -11522 | 16839 | 5283 | -4932 | 0.20953 | 819 | 0 | 0
3/13/2024 | 22 | 78335 | 11761 | -10826 | 16912 | 5034 | -4634 | 0.21839 | 722 | 1 | 0.001385
3/13/2024 | 23 | 73767 | 11530 | -10406 | 17136 | 4935 | -4454 | 0.23524 | 45 | 0 | 0
3/13/2024 | 24 | 69783 | 11140 | -9775 | 17089 | 4768 | -4184 | 0.2484 | 22 | 0 | 0
3/14/2024 | 1 | 67312 | 10366 | -8759 | 17087 | 4437 | -3749 | 0.25791 | 487 | 0 | 0
3/14/2024 | 2 | 65386 | 10653 | -8836 | 16455 | 4559 | -3782 | 0.25642 | 552 | 0 | 0
3/14/2024 | 3 | 64705 | 10506 | -8708 | 16273 | 4497 | -3727 | 0.25627 | 507 | 0 | 0
3/14/2024 | 4 | 65238 | 10550 | -8661 | 16622 | 4515 | -3707 | 0.25966 | 492 | 0 | 0
3/14/2024 | 5 | 67677 | 10500 | -8885 | 16663 | 4494 | -3803 | 0.25045 | 189 | 0 | 0
3/14/2024 | 6 | 73084 | 10965 | -9391 | 16987 | 4693 | -4019 | 0.23656 | 11 | 0 | 0
3/14/2024 | 7 | 79836 | 12531 | -10800 | 17852 | 5363 | -4622 | 0.22795 | 523 | 3 | 0.0057361
3/14/2024 | 8 | 83650 | 12723 | -10849 | 18150 | 5445 | -4643 | 0.2216 | 823 | 109 | 0.13244
3/14/2024 | 9 | 82135 | 11667 | -10172 | 15725 | 4993 | -4353 | 0.19568 | 167 | 0 | 0
3/14/2024 | 10 | 78657 | 11669 | -11130 | 12514 | 4995 | -4763 | 0.16094 | 0 | 0 | 0
3/14/2024 | 11 | 74640 | 11729 | -11497 | 11230 | 5020 | -4921 | 0.15131 | 0 | 0 | 0
3/14/2024 | 12 | 70390 | 11485 | -11563 | 10570 | 4915 | -4949 | 0.14985 | 0 | 0 | 0
3/14/2024 | 13 | 67905 | 12094 | -12237 | 10312 | 5176 | -5237 | 0.15128 | 0 | 0 | 0
3/14/2024 | 14 | 65724 | 12248 | -12296 | 9849 | 5242 | -5263 | 0.14964 | 0 | 0 | 0
3/14/2024 | 15 | 64772 | 12085 | -12037 | 9463 | 5172 | -5152 | 0.1463 | 0 | 0 | 0
3/14/2024 | 16 | 65319 | 12576 | -12130 | 9652 | 5382 | -5192 | 0.14965 | 0 | 0 | 0
3/14/2024 | 17 | 68813 | 12440 | -12022 | 10753 | 5324 | -5145 | 0.15791 | 0 | 0 | 0
3/14/2024 | 18 | 71947 | 12006 | -10725 | 13129 | 5138 | -4590 | 0.18677 | 271 | 0 | 0
3/14/2024 | 19 | 74913 | 13853 | -11490 | 15828 | 5929 | -4918 | 0.21791 | 384 | 0 | 0
3/14/2024 | 20 | 78547 | 14731 | -11986 | 17207 | 6305 | -5130 | 0.22612 | 770 | 0 | 0
3/14/2024 | 21 | 78098 | 14381 | -11625 | 17671 | 6155 | -4976 | 0.23314 | 595 | 0 | 0
3/14/2024 | 22 | 75469 | 14138 | -11291 | 17967 | 6051 | -4832 | 0.24498 | 925 | 9 | 0.0097297
3/14/2024 | 23 | 71355 | 12686 | -9890 | 18236 | 5429 | -4233 | 0.26206 | 516 | 0 | 0
3/14/2024 | 24 | 67373 | 12422 | -9565 | 17915 | 5317 | -4094 | 0.2725 | 313 | 0 | 0
3/15/2024 | 1 | 65163 | 12457 | -9949 | 17182 | 5332 | -4258 | 0.26978 | 164 | 0 | 0
3/15/2024 | 2 | 63451 | 12315 | -9794 | 16794 | 5271 | -4192 | 0.27092 | 65 | 0 | 0
3/15/2024 | 3 | 62861 | 12232 | -9726 | 16618 | 5235 | -4163 | 0.27063 | 234 | 0 | 0
3/15/2024 | 4 | 63128 | 12234 | -9896 | 16557 | 5236 | -4236 | 0.26819 | 105 | 0 | 0
3/15/2024 | 5 | 65278 | 12366 | -10045 | 16757 | 5293 | -4299 | 0.26259 | 333 | 0 | 0
3/15/2024 | 6 | 70168 | 12509 | -10323 | 17374 | 5354 | -4418 | 0.25306 | 469 | 1 | 0.0021322
3/15/2024 | 7 | 76790 | 12275 | -10157 | 17841 | 5254 | -4347 | 0.23759 | 666 | 3 | 0.0045045
3/15/2024 | 8 | 80890 | 12383 | -10294 | 18257 | 5300 | -4406 | 0.23079 | 948 | 87 | 0.091772
3/15/2024 | 9 | 79545 | 11776 | -9538 | 16433 | 5040 | -4082 | 0.21265 | 663 | 17 | 0.025641
3/15/2024 | 10 | 76566 | 10590 | -9173 | 14922 | 4533 | -3926 | 0.19913 | 456 | 0 | 0
3/15/2024 | 11 | 73008 | 10528 | -9372 | 13991 | 4506 | -4011 | 0.19532 | 0 | 0 | 0
3/15/2024 | 12 | 69689 | 10955 | -9787 | 13388 | 4689 | -4189 | 0.196 | 9 | 0 | 0
3/15/2024 | 13 | 68090 | 10999 | -9910 | 12727 | 4708 | -4241 | 0.19072 | 19 | 0 | 0
3/15/2024 | 14 | 67360 | 10643 | -9651 | 12107 | 4555 | -4131 | 0.18333 | 0 | 0 | 0
3/15/2024 | 15 | 66080 | 10563 | -9313 | 11751 | 4521 | -3986 | 0.18247 | 20 | 0 | 0
3/15/2024 | 16 | 66416 | 10331 | -9171 | 12270 | 4422 | -3925 | 0.18893 | 4 | 0 | 0
3/15/2024 | 17 | 67375 | 10197 | -9266 | 13410 | 4364 | -3966 | 0.20215 | 402 | 0 | 0
3/15/2024 | 18 | 70262 | 11264 | -9727 | 15392 | 4821 | -4163 | 0.22354 | 974 | 26 | 0.026694
3/15/2024 | 19 | 73143 | 12907 | -11031 | 17847 | 5524 | -4721 | 0.2486 | 1125 | 11 | 0.0097778
3/15/2024 | 20 | 76034 | 13287 | -11425 | 19100 | 5687 | -4890 | 0.25543 | 1295 | 0 | 0
3/15/2024 | 21 | 75295 | 12821 | -11004 | 19524 | 5487 | -4710 | 0.26327 | 1404 | 56 | 0.039886
3/15/2024 | 22 | 73459 | 12719 | -10927 | 19674 | 5444 | -4677 | 0.27164 | 1945 | 357 | 0.18355
3/15/2024 | 23 | 70616 | 12848 | -10970 | 19516 | 5499 | -4695 | 0.2803 | 1694 | 224 | 0.13223
3/15/2024 | 24 | 66999 | 12556 | -10695 | 19314 | 5374 | -4577 | 0.29206 | 1373 | 74 | 0.053897
3/16/2024 | 1 | 64529 | 11961 | -10041 | 18113 | 5119 | -4298 | 0.28494 | 1156 | 89 | 0.07699
3/16/2024 | 2 | 63030 | 11767 | -9963 | 17860 | 5036 | -4264 | 0.28738 | 1039 | 51 | 0.049086
3/16/2024 | 3 | 61588 | 11930 | -10041 | 17647 | 5106 | -4298 | 0.29074 | 703 | 1 | 0.0014225
3/16/2024 | 4 | 61275 | 11781 | -9815 | 17766 | 5042 | -4201 | 0.29422 | 524 | 0 | 0
3/16/2024 | 5 | 62116 | 12052 | -10047 | 17908 | 5158 | -4300 | 0.29267 | 341 | 0 | 0
3/16/2024 | 6 | 64566 | 12347 | -10341 | 18222 | 5284 | -4426 | 0.28661 | 524 | 0 | 0
3/16/2024 | 7 | 68245 | 11882 | -9837 | 18533 | 5086 | -4210 | 0.27613 | 1100 | 22 | 0.02
3/16/2024 | 8 | 70414 | 11876 | -9503 | 18077 | 5083 | -4067 | 0.26231 | 1573 | 303 | 0.19263
3/16/2024 | 9 | 69762 | 10413 | -8123 | 14826 | 4457 | -3477 | 0.21937 | 444 | 42 | 0.094595
3/16/2024 | 10 | 67073 | 10074 | -8220 | 12089 | 4312 | -3518 | 0.18691 | 152 | 0 | 0
3/16/2024 | 11 | 63606 | 10297 | -8733 | 10181 | 4407 | -3738 | 0.16649 | 0 | 0 | 0
3/16/2024 | 12 | 60834 | 10884 | -9434 | 9594 | 4658 | -4038 | 0.16399 | 0 | 0 | 0
3/16/2024 | 13 | 58268 | 10828 | -9395 | 9474 | 4635 | -4021 | 0.16898 | 0 | 0 | 0
3/16/2024 | 14 | 57332 | 10738 | -9401 | 9336 | 4596 | -4024 | 0.16888 | 0 | 0 | 0
3/16/2024 | 15 | 57315 | 10355 | -9019 | 9365 | 4432 | -3860 | 0.16943 | 351 | 0 | 0
3/16/2024 | 16 | 58607 | 10607 | -9214 | 10020 | 4540 | -3944 | 0.17693 | 662 | 17 | 0.02568
3/16/2024 | 17 | 61251 | 9949 | -8769 | 10972 | 4258 | -3753 | 0.18383 | 597 | 0 | 0
3/16/2024 | 18 | 64491 | 10775 | -8976 | 13433 | 4612 | -3842 | 0.21426 | 893 | 59 | 0.066069
3/16/2024 | 19 | 68482 | 12640 | -10835 | 15733 | 5410 | -4638 | 0.23482 | 1126 | 20 | 0.017762
3/16/2024 | 20 | 70875 | 12753 | -10831 | 16469 | 5458 | -4636 | 0.23752 | 1237 | 93 | 0.075182
3/16/2024 | 21 | 70789 | 12572 | -10703 | 16538 | 5381 | -4581 | 0.23862 | 1469 | 99 | 0.067393
3/16/2024 | 22 | 68651 | 12508 | -10635 | 16331 | 5353 | -4552 | 0.24292 | 1411 | 76 | 0.053863
3/16/2024 | 23 | 65543 | 13195 | -10939 | 16851 | 5647 | -4682 | 0.26278 | 767 | 0 | 0
3/16/2024 | 24 | 62749 | 11828 | -9781 | 16783 | 5063 | -4186 | 0.27255 | 411 | 0 | 0
3/17/2024 | 1 | 61667 | 11224 | -9648 | 16599 | 4804 | -4129 | 0.27314 | 544 | 17 | 0.03125
3/17/2024 | 2 | 59534 | 11262 | -9518 | 16527 | 4820 | -4074 | 0.28188 | 493 | 0 | 0
3/17/2024 | 3 | 58673 | 11225 | -9499 | 16548 | 4804 | -4065 | 0.28621 | 231 | 0 | 0
3/17/2024 | 4 | 58528 | 11181 | -9588 | 16408 | 4786 | -4104 | 0.28426 | 149 | 0 | 0
3/17/2024 | 5 | 59207 | 11280 | -9700 | 16323 | 4828 | -4152 | 0.27965 | 177 | 0 | 0
3/17/2024 | 6 | 60975 | 11947 | -10217 | 16245 | 5113 | -4373 | 0.27087 | 29 | 0 | 0
3/17/2024 | 7 | 63935 | 11874 | -9911 | 16400 | 5082 | -4242 | 0.26162 | 223 | 0 | 0
3/17/2024 | 8 | 66060 | 11454 | -9484 | 15564 | 4902 | -4059 | 0.24117 | 226 | 7 | 0.030973
3/17/2024 | 9 | 65802 | 10467 | -8850 | 12659 | 4480 | -3788 | 0.19803 | 0 | 0 | 0
3/17/2024 | 10 | 63372 | 10847 | -9950 | 9936 | 4643 | -4259 | 0.16058 | 0 | 0 | 0
3/17/2024 | 11 | 60530 | 11245 | -10802 | 9254 | 4813 | -4623 | 0.15489 | 0 | 0 | 0
3/17/2024 | 12 | 57723 | 11088 | -10655 | 9064 | 4746 | -4560 | 0.15905 | 0 | 0 | 0
3/17/2024 | 13 | 56080 | 11224 | -10817 | 8985 | 4804 | -4630 | 0.16214 | 0 | 0 | 0
3/17/2024 | 14 | 55456 | 11403 | -10949 | 8912 | 4880 | -4686 | 0.16287 | 0 | 0 | 0
3/17/2024 | 15 | 54793 | 11689 | -10918 | 8827 | 5003 | -4673 | 0.1648 | 0 | 0 | 0
3/17/2024 | 16 | 56757 | 11262 | -10660 | 9050 | 4820 | -4563 | 0.16226 | 0 | 0 | 0
3/17/2024 | 17 | 60051 | 11177 | -10057 | 9823 | 4784 | -4304 | 0.16843 | 0 | 0 | 0
3/17/2024 | 18 | 63731 | 9798 | -8163 | 11806 | 4193 | -3494 | 0.19131 | 0 | 0 | 0
3/17/2024 | 19 | 68910 | 12213 | -10464 | 15710 | 5227 | -4478 | 0.23294 | 0 | 0 | 0
3/17/2024 | 20 | 72414 | 12815 | -10972 | 17517 | 5485 | -4696 | 0.24652 | 830 | 0 | 0
3/17/2024 | 21 | 72102 | 13600 | -11636 | 17825 | 5821 | -4980 | 0.25202 | 679 | 0 | 0
3/17/2024 | 22 | 69664 | 13007 | -11002 | 17574 | 5567 | -4709 | 0.25718 | 954 | 0 | 0
3/17/2024 | 23 | 65543 | 12657 | -10674 | 17316 | 5417 | -4569 | 0.26899 | 759 | 0 | 0
3/17/2024 | 24 | 62116 | 11630 | -10037 | 16718 | 4978 | -4296 | 0.27312 | 956 | 0 | 0
3/18/2024 | 1 | 59909 | 11438 | -9380 | 16370 | 4895 | -4015 | 0.27837 | 938 | 0 | 0
3/18/2024 | 2 | 58480 | 11410 | -9217 | 15967 | 4883 | -3945 | 0.27862 | 640 | 0 | 0
3/18/2024 | 3 | 57932 | 11402 | -9169 | 15989 | 4880 | -3924 | 0.28164 | 652 | 0 | 0
3/18/2024 | 4 | 58210 | 11497 | -9236 | 15975 | 4921 | -3953 | 0.28018 | 706 | 0 | 0
3/18/2024 | 5 | 60601 | 11834 | -9600 | 16496 | 5065 | -4109 | 0.27774 | 349 | 0 | 0
3/18/2024 | 6 | 65901 | 12566 | -10267 | 17223 | 5378 | -4394 | 0.26696 | 494 | 0 | 0
3/18/2024 | 7 | 71914 | 13586 | -10772 | 17446 | 5815 | -4611 | 0.24957 | 513 | 0 | 0
3/18/2024 | 8 | 75729 | 13425 | -10785 | 17143 | 5746 | -4616 | 0.23317 | 665 | 0 | 0
3/18/2024 | 9 | 74993 | 11160 | -9267 | 13784 | 4776 | -3966 | 0.18981 | 384 | 0 | 0
3/18/2024 | 10 | 71374 | 10427 | -9187 | 11251 | 4463 | -3932 | 0.16226 | 3 | 0 | 0
3/18/2024 | 11 | 68369 | 10065 | -9293 | 10231 | 4308 | -3977 | 0.15276 | 0 | 0 | 0
3/18/2024 | 12 | 65784 | 10573 | -9865 | 9913 | 4525 | -4222 | 0.15364 | 0 | 0 | 0
3/18/2024 | 13 | 64739 | 10590 | -9958 | 9612 | 4533 | -4262 | 0.15118 | 0 | 0 | 0
3/18/2024 | 14 | 65510 | 10554 | -9884 | 9937 | 4517 | -4230 | 0.15449 | 0 | 0 | 0
3/18/2024 | 15 | 64729 | 10294 | -9388 | 10162 | 4406 | -4018 | 0.16074 | 0 | 0 | 0
3/18/2024 | 16 | 66125 | 9877 | -9116 | 10580 | 4228 | -3902 | 0.16305 | 0 | 0 | 0
3/18/2024 | 17 | 68344 | 9236 | -8469 | 12080 | 3953 | -3625 | 0.17954 | 214 | 0 | 0
3/18/2024 | 18 | 70791 | 10001 | -8904 | 14032 | 4281 | -3811 | 0.20173 | 10 | 0 | 0
3/18/2024 | 19 | 73426 | 13481 | -11553 | 16808 | 5770 | -4945 | 0.234 | 87 | 0 | 0
3/18/2024 | 20 | 75994 | 14009 | -11890 | 18454 | 5996 | -5089 | 0.24786 | 616 | 0 | 0
3/18/2024 | 21 | 74777 | 13906 | -11428 | 18196 | 5952 | -4891 | 0.24927 | 1034 | 24 | 0.023211
3/18/2024 | 22 | 71535 | 13304 | -10642 | 17785 | 5694 | -4555 | 0.25505 | 1053 | 65 | 0.061728
3/18/2024 | 23 | 66784 | 13119 | -10563 | 17866 | 5615 | -4521 | 0.27344 | 641 | 21 | 0.032761
3/18/2024 | 24 | 63085 | 12201 | -9739 | 17272 | 5222 | -4168 | 0.27959 | 683 | 39 | 0.057101
3/19/2024 | 1 | 60328 | 13158 | -10493 | 16459 | 5632 | -4491 | 0.2794 | 501 | 13 | 0.025948
3/19/2024 | 2 | 58792 | 13154 | -10379 | 16262 | 5630 | -4442 | 0.28343 | 531 | 0 | 0
3/19/2024 | 3 | 57974 | 13355 | -10480 | 16528 | 5716 | -4485 | 0.29185 | 478 | 0 | 0
3/19/2024 | 4 | 57998 | 13298 | -10510 | 16539 | 5692 | -4498 | 0.29173 | 166 | 0 | 0
3/19/2024 | 5 | 60124 | 13978 | -11155 | 16810 | 5982 | -4774 | 0.28624 | 27 | 0 | 0
3/19/2024 | 6 | 64458 | 14566 | -11686 | 17531 | 6234 | -5002 | 0.27864 | 18 | 0 | 0
3/19/2024 | 7 | 71646 | 13799 | -10966 | 18608 | 5906 | -4693 | 0.26613 | 132 | 0 | 0
3/19/2024 | 8 | 74777 | 13112 | -10590 | 18003 | 5612 | -4533 | 0.24686 | 493 | 0 | 0
3/19/2024 | 9 | 73044 | 10528 | -8812 | 14119 | 4506 | -3771 | 0.19869 | 187 | 0 | 0
3/19/2024 | 10 | 69817 | 10374 | -9041 | 11188 | 4440 | -3870 | 0.16526 | 0 | 0 | 0
3/19/2024 | 11 | 67031 | 9642 | -9114 | 10439 | 4127 | -3901 | 0.15786 | 0 | 0 | 0
3/19/2024 | 12 | 64595 | 9912 | -9794 | 10200 | 4243 | -4192 | 0.15841 | 0 | 0 | 0
3/19/2024 | 13 | 62911 | 9922 | -10107 | 10102 | 4247 | -4326 | 0.15979 | 0 | 0 | 0
3/19/2024 | 14 | 62232 | 9725 | -9830 | 9838 | 4162 | -4207 | 0.15763 | 0 | 0 | 0
3/19/2024 | 15 | 62721 | 9600 | -9518 | 9645 | 4109 | -4074 | 0.15413 | 0 | 0 | 0
3/19/2024 | 16 | 64464 | 9629 | -9647 | 9731 | 4121 | -4129 | 0.15087 | 0 | 0 | 0
3/19/2024 | 17 | 66079 | 9634 | -8996 | 10500 | 4123 | -3850 | 0.16147 | 0 | 0 | 0
3/19/2024 | 18 | 70077 | 10760 | -9717 | 12698 | 4605 | -4159 | 0.18481 | 65 | 0 | 0
3/19/2024 | 19 | 74301 | 13981 | -12579 | 16237 | 5984 | -5384 | 0.22241 | 614 | 0 | 0
3/19/2024 | 20 | 76991 | 14001 | -12698 | 17160 | 5992 | -5435 | 0.22629 | 643 | 0 | 0
3/19/2024 | 21 | 76044 | 14562 | -13038 | 17025 | 6233 | -5580 | 0.2279 | 699 | 0 | 0
3/19/2024 | 22 | 72939 | 14104 | -12357 | 16828 | 6036 | -5289 | 0.23532 | 651 | 1 | 0.0015361
3/19/2024 | 23 | 68596 | 14943 | -13259 | 15995 | 6396 | -5675 | 0.23785 | 425 | 0 | 0
3/19/2024 | 24 | 54091 | 11575 | -10373 | 13063 | 4954 | -4440 | 0.24555 | 699 | 3 | 0.0042918
3/20/2024 | 1 | 62079 | 14508 | -13130 | 14850 | 6210 | -5620 | 0.24331 | 372 | 0 | 0
3/20/2024 | 2 | 60670 | 14106 | -12804 | 14181 | 6037 | -5480 | 0.23782 | 650 | 7 | 0.010769
3/20/2024 | 3 | 59734 | 13978 | -12642 | 14202 | 5982 | -5411 | 0.2419 | 648 | 3 | 0.0046296
3/20/2024 | 4 | 59396 | 14190 | -12591 | 14190 | 6073 | -5389 | 0.24386 | 419 | 0 | 0
3/20/2024 | 5 | 61457 | 14166 | -12446 | 14687 | 6063 | -5327 | 0.24412 | 228 | 0 | 0
3/20/2024 | 6 | 65921 | 13826 | -12037 | 15691 | 5917 | -5152 | 0.24304 | 14 | 0 | 0
3/20/2024 | 7 | 72287 | 13513 | -11765 | 16054 | 5784 | -5036 | 0.22695 | 0 | 0 | 0
3/20/2024 | 8 | 75427 | 14030 | -12468 | 15679 | 6005 | -5336 | 0.21234 | 351 | 1 | 0.002849
3/20/2024 | 9 | 74092 | 10792 | -10188 | 12165 | 4619 | -4361 | 0.16631 | 174 | 0 | 0
3/20/2024 | 10 | 72432 | 10194 | -10735 | 10678 | 4363 | -4595 | 0.1453 | 0 | 0 | 0
3/20/2024 | 11 | 69470 | 10022 | -11167 | 10133 | 4289 | -4780 | 0.14112 | 0 | 0 | 0
3/20/2024 | 12 | 66702 | 10161 | -11329 | 9646 | 4349 | -4849 | 0.13956 | 0 | 0 | 0
3/20/2024 | 13 | 65146 | 9972 | -11283 | 9488 | 4268 | -4829 | 0.13984 | 0 | 0 | 0
3/20/2024 | 14 | 64607 | 10265 | -11526 | 9439 | 4393 | -4933 | 0.14048 | 0 | 0 | 0
3/20/2024 | 15 | 65498 | 9693 | -11228 | 9319 | 4149 | -4806 | 0.13542 | 0 | 0 | 0
3/20/2024 | 16 | 66701 | 10592 | -11919 | 9432 | 4534 | -5101 | 0.1356 | 0 | 0 | 0
3/20/2024 | 17 | 69305 | 11119 | -11784 | 10202 | 4759 | -5043 | 0.14449 | 0 | 0 | 0
3/20/2024 | 18 | 72976 | 12191 | -11601 | 12078 | 5218 | -4965 | 0.16762 | 0 | 0 | 0
3/20/2024 | 19 | 76633 | 14666 | -13813 | 14959 | 6277 | -5912 | 0.19776 | 12 | 0 | 0
3/20/2024 | 20 | 78470 | 15353 | -14446 | 15940 | 6571 | -6183 | 0.2057 | 77 | 0 | 0
3/20/2024 | 21 | 77268 | 15659 | -14739 | 15805 | 6702 | -6308 | 0.20718 | 379 | 5 | 0.013193
3/20/2024 | 22 | 74274 | 15423 | -14495 | 15313 | 6601 | -6204 | 0.2089 | 639 | 37 | 0.057903
3/20/2024 | 23 | 69578 | 16157 | -15117 | 14717 | 6915 | -6470 | 0.2147 | 365 | 0 | 0
3/20/2024 | 24 | 65939 | 15348 | -14354 | 14341 | 6569 | -6144 | 0.22061 | 588 | 24 | 0.040816
3/21/2024 | 1 | 63101 | 14588 | -13491 | 13793 | 6244 | -5774 | 0.22217 | 558 | 1 | 0.0017921
3/21/2024 | 2 | 61037 | 14257 | -12978 | 13718 | 6102 | -5555 | 0.22891 | 529 | 16 | 0.030246
3/21/2024 | 3 | 60056 | 14176 | -12890 | 13301 | 6067 | -5517 | 0.2258 | 629 | 1 | 0.0015898
3/21/2024 | 4 | 59790 | 14391 | -12914 | 13247 | 6159 | -5527 | 0.22653 | 561 | 1 | 0.0017825
3/21/2024 | 5 | 61448 | 15709 | -14021 | 13549 | 6724 | -6001 | 0.22605 | 514 | 18 | 0.035019
3/21/2024 | 6 | 66164 | 16113 | -14644 | 14678 | 6896 | -6268 | 0.22631 | 241 | 1 | 0.0041494
3/21/2024 | 7 | 72785 | 14405 | -13331 | 15676 | 6165 | -5706 | 0.21846 | 348 | 0 | 0
3/21/2024 | 8 | 75978 | 13742 | -12877 | 14808 | 5881 | -5511 | 0.19752 | 260 | 1 | 0.0038462
3/21/2024 | 9 | 74841 | 10495 | -10400 | 11982 | 4492 | -4451 | 0.16044 | 0 | 0 | 0
3/21/2024 | 10 | 72713 | 11496 | -12112 | 10758 | 4920 | -5184 | 0.14555 | 0 | 0 | 0
3/21/2024 | 11 | 70208 | 11191 | -12529 | 10886 | 4790 | -5362 | 0.14976 | 0 | 0 | 0
3/21/2024 | 12 | 67614 | 10705 | -12208 | 10335 | 4582 | -5225 | 0.1466 | 0 | 0 | 0
3/21/2024 | 13 | 66311 | 10862 | -12333 | 10170 | 4649 | -5279 | 0.14713 | 0 | 0 | 0
3/21/2024 | 14 | 66083 | 10631 | -12297 | 9935 | 4550 | -5263 | 0.14316 | 0 | 0 | 0
3/21/2024 | 15 | 66120 | 10569 | -12387 | 9673 | 4523 | -5301 | 0.13833 | 0 | 0 | 0
3/21/2024 | 16 | 68092 | 10735 | -12796 | 9758 | 4595 | -5477 | 0.13442 | 0 | 0 | 0
3/21/2024 | 17 | 70807 | 10810 | -12661 | 10445 | 4627 | -5419 | 0.13999 | 0 | 0 | 0
3/21/2024 | 18 | 73432 | 10552 | -10725 | 12012 | 4516 | -4590 | 0.16296 | 0 | 0 | 0
3/21/2024 | 19 | 76682 | 13743 | -13524 | 15119 | 5882 | -5788 | 0.19783 | 316 | 0 | 0
3/21/2024 | 20 | 78976 | 14538 | -14169 | 16381 | 6222 | -6064 | 0.20844 | 602 | 0 | 0
3/21/2024 | 21 | 77966 | 14390 | -13986 | 16758 | 6159 | -5986 | 0.21604 | 838 | 3 | 0.00358
3/21/2024 | 22 | 74983 | 14433 | -13753 | 16383 | 6177 | -5886 | 0.22037 | 791 | 16 | 0.020228
3/21/2024 | 23 | 70230 | 15324 | -14300 | 16471 | 6559 | -6120 | 0.23732 | 387 | 0 | 0
3/21/2024 | 24 | 66325 | 14407 | -13250 | 16330 | 6166 | -5671 | 0.24933 | 254 | 0 | 0
3/22/2024 | 1 | 63378 | 12800 | -11341 | 15629 | 5478 | -4854 | 0.25067 | 477 | 21 | 0.044025
3/22/2024 | 2 | 61672 | 12416 | -11039 | 15557 | 5314 | -4725 | 0.25609 | 477 | 1 | 0.0020964
3/22/2024 | 3 | 60732 | 12219 | -10902 | 15689 | 5230 | -4666 | 0.26194 | 463 | 0 | 0
3/22/2024 | 4 | 60605 | 12140 | -10911 | 15642 | 5196 | -4670 | 0.26147 | 171 | 0 | 0
3/22/2024 | 5 | 62082 | 12550 | -11282 | 15808 | 5371 | -4829 | 0.25809 | 71 | 0 | 0
3/22/2024 | 6 | 66336 | 13497 | -12257 | 16659 | 5777 | -5246 | 0.25438 | 183 | 0 | 0
3/22/2024 | 7 | 72448 | 13318 | -12150 | 17478 | 5700 | -5200 | 0.24421 | 465 | 0 | 0
3/22/2024 | 8 | 75687 | 13022 | -12098 | 16659 | 5573 | -5178 | 0.22261 | 275 | 0 | 0
3/22/2024 | 9 | 74964 | 10306 | -9947 | 13811 | 4411 | -4257 | 0.1854 | 151 | 0 | 0
3/22/2024 | 10 | 72999 | 9904 | -9770 | 12094 | 4239 | -4182 | 0.16615 | 0 | 0 | 0
3/22/2024 | 11 | 69861 | 10342 | -10214 | 11129 | 4426 | -4372 | 0.15978 | 0 | 0 | 0
3/22/2024 | 12 | 67887 | 10599 | -10745 | 10827 | 4536 | -4599 | 0.1589 | 0 | 0 | 0
3/22/2024 | 13 | 67067 | 10931 | -10941 | 10602 | 4679 | -4683 | 0.15804 | 0 | 0 | 0
3/22/2024 | 14 | 68239 | 11176 | -11142 | 10760 | 4783 | -4769 | 0.15781 | 0 | 0 | 0
3/22/2024 | 15 | 68775 | 11042 | -11136 | 11040 | 4726 | -4766 | 0.16016 | 0 | 0 | 0
3/22/2024 | 16 | 69636 | 10718 | -10779 | 11085 | 4587 | -4613 | 0.15895 | 0 | 0 | 0
3/22/2024 | 17 | 70649 | 10948 | -10643 | 11911 | 4686 | -4555 | 0.16972 | 0 | 0 | 0
3/22/2024 | 18 | 73418 | 11959 | -10929 | 13784 | 5118 | -4678 | 0.19106 | 0 | 0 | 0
3/22/2024 | 19 | 75563 | 14239 | -12500 | 16307 | 6094 | -5350 | 0.22058 | 404 | 0 | 0
3/22/2024 | 20 | 77365 | 14783 | -12962 | 16977 | 6327 | -5548 | 0.22423 | 742 | 0 | 0
3/22/2024 | 21 | 74956 | 14516 | -12372 | 16669 | 6213 | -5295 | 0.22811 | 424 | 0 | 0
3/22/2024 | 22 | 72789 | 13933 | -12110 | 16463 | 5964 | -5183 | 0.23112 | 566 | 7 | 0.012367
3/22/2024 | 23 | 68645 | 14435 | -12176 | 16009 | 6178 | -5211 | 0.23942 | 340 | 0 | 0
3/22/2024 | 24 | 65450 | 14006 | -11859 | 15794 | 5994 | -5076 | 0.24723 | 599 | 0 | 0
3/23/2024 | 1 | 63007 | 14037 | -12159 | 15085 | 6008 | -5204 | 0.24488 | 442 | 0 | 0
3/23/2024 | 2 | 61210 | 14045 | -12386 | 14564 | 6011 | -5301 | 0.24295 | 599 | 0 | 0
3/23/2024 | 3 | 60076 | 13353 | -11572 | 14408 | 5715 | -4953 | 0.24524 | 684 | 0 | 0
3/23/2024 | 4 | 59297 | 13165 | -11374 | 14535 | 5635 | -4868 | 0.25049 | 652 | 0 | 0
3/23/2024 | 5 | 59426 | 13419 | -11516 | 14107 | 5743 | -4929 | 0.24329 | 563 | 2 | 0.0035524
3/23/2024 | 6 | 61108 | 14479 | -12372 | 14127 | 6197 | -5295 | 0.23774 | 416 | 2 | 0.0048077
3/23/2024 | 7 | 64129 | 13832 | -11750 | 14470 | 5920 | -5029 | 0.232 | 705 | 0 | 0
3/23/2024 | 8 | 66905 | 13173 | -11346 | 14549 | 5638 | -4856 | 0.22305 | 635 | 0 | 0
3/23/2024 | 9 | 68669 | 11082 | -9638 | 14184 | 4743 | -4125 | 0.21112 | 75 | 0 | 0
3/23/2024 | 10 | 69173 | 10594 | -9380 | 13918 | 4534 | -4015 | 0.20511 | 90 | 0 | 0
3/23/2024 | 11 | 67424 | 10266 | -9312 | 11784 | 4394 | -3985 | 0.17832 | 0 | 0 | 0
3/23/2024 | 12 | 67336 | 10156 | -9646 | 10589 | 4347 | -4129 | 0.15929 | 0 | 0 | 0
3/23/2024 | 13 | 66829 | 10163 | -9867 | 13649 | 4350 | -4223 | 0.20523 | 0 | 0 | 0
3/23/2024 | 14 | 65651 | 10344 | -9906 | 14568 | 4427 | -4240 | 0.22326 | 0 | 0 | 0
3/23/2024 | 15 | 64381 | 10548 | -9957 | 17835 | 4514 | -4262 | 0.27838 | 0 | 0 | 0
3/23/2024 | 16 | 64764 | 10619 | -10094 | 14957 | 4545 | -4320 | 0.23254 | 0 | 0 | 0
3/23/2024 | 17 | 66317 | 10714 | -9942 | 10702 | 4586 | -4255 | 0.16445 | 0 | 0 | 0
3/23/2024 | 18 | 68861 | 11154 | -9680 | 11927 | 4774 | -4143 | 0.17855 | 0 | 0 | 0
3/23/2024 | 19 | 71070 | 14036 | -12294 | 13536 | 6007 | -5262 | 0.19614 | 0 | 0 | 0
3/23/2024 | 20 | 74885 | 13723 | -12195 | 14788 | 5873 | -5220 | 0.20207 | 356 | 0 | 0
3/23/2024 | 21 | 73692 | 14660 | -13032 | 15006 | 6275 | -5578 | 0.20848 | 405 | 0 | 0
3/23/2024 | 22 | 71838 | 14842 | -13049 | 14939 | 6352 | -5585 | 0.21331 | 532 | 0 | 0
3/23/2024 | 23 | 68819 | 15444 | -13488 | 14433 | 6610 | -5773 | 0.21575 | 0 | 0 | 0
3/23/2024 | 24 | 65933 | 14504 | -12830 | 13984 | 6208 | -5491 | 0.21745 | 107 | 0 | 0
3/24/2024 | 1 | 63399 | 13726 | -11857 | 13783 | 5875 | -5075 | 0.22343 | 125 | 0 | 0
3/24/2024 | 2 | 61660 | 13420 | -11435 | 13494 | 5744 | -4894 | 0.22538 | 370 | 0 | 0
3/24/2024 | 3 | 60230 | 13058 | -11107 | 13436 | 5589 | -4754 | 0.22951 | 365 | 0 | 0
3/24/2024 | 4 | 59831 | 12949 | -11215 | 13153 | 5542 | -4800 | 0.2257 | 389 | 0 | 0
3/24/2024 | 5 | 60235 | 12582 | -10859 | 12878 | 5385 | -4648 | 0.21975 | 80 | 0 | 0
3/24/2024 | 6 | 62344 | 12247 | -10943 | 13236 | 5242 | -4683 | 0.21674 | 57 | 0 | 0
3/24/2024 | 7 | 65699 | 11434 | -10727 | 13132 | 4894 | -4591 | 0.20232 | 70 | 0 | 0
3/24/2024 | 8 | 68089 | 10961 | -10250 | 12605 | 4691 | -4387 | 0.18763 | 0 | 0 | 0
3/24/2024 | 9 | 69501 | 10260 | -10189 | 11258 | 4391 | -4361 | 0.16225 | 0 | 0 | 0
3/24/2024 | 10 | 69305 | 11077 | -11384 | 10238 | 4741 | -4872 | 0.14648 | 0 | 0 | 0
3/24/2024 | 11 | 66480 | 11589 | -11824 | 9454 | 4960 | -5061 | 0.14119 | 0 | 0 | 0
3/24/2024 | 12 | 63965 | 11683 | -11927 | 9575 | 5001 | -5105 | 0.14863 | 0 | 0 | 0
3/24/2024 | 13 | 63179 | 11480 | -11601 | 9421 | 4913 | -4965 | 0.14858 | 0 | 0 | 0
3/24/2024 | 14 | 63242 | 11329 | -11737 | 9342 | 4849 | -5023 | 0.14591 | 0 | 0 | 0
3/24/2024 | 15 | 63375 | 11456 | -11995 | 9485 | 4903 | -5134 | 0.14727 | 0 | 0 | 0
3/24/2024 | 16 | 64311 | 10965 | -11324 | 9946 | 4693 | -4847 | 0.15311 | 0 | 0 | 0
3/24/2024 | 17 | 66222 | 10727 | -10935 | 10511 | 4591 | -4680 | 0.15788 | 0 | 0 | 0
3/24/2024 | 18 | 68979 | 10440 | -10242 | 11586 | 4468 | -4383 | 0.16871 | 0 | 0 | 0
3/24/2024 | 19 | 72420 | 14063 | -13330 | 13098 | 6019 | -5705 | 0.18334 | 0 | 0 | 0
3/24/2024 | 20 | 76339 | 15068 | -14336 | 14377 | 6449 | -6136 | 0.1906 | 34 | 0 | 0
3/24/2024 | 21 | 76027 | 15316 | -14476 | 14642 | 6555 | -6196 | 0.19516 | 429 | 0 | 0
3/24/2024 | 22 | 73350 | 15434 | -14215 | 14531 | 6606 | -6084 | 0.20187 | 544 | 0 | 0
3/24/2024 | 23 | 69496 | 15271 | -14075 | 14086 | 6536 | -6024 | 0.2065 | 13 | 0 | 0
3/24/2024 | 24 | 65753 | 14126 | -12820 | 13659 | 6046 | -5487 | 0.21202 | 119 | 0 | 0
3/25/2024 | 1 | 63625 | 13847 | -12532 | 13455 | 5926 | -5364 | 0.21585 | 50 | 0 | 0
3/25/2024 | 2 | 62059 | 13318 | -12168 | 13355 | 5700 | -5208 | 0.21907 | 277 | 0 | 0
3/25/2024 | 3 | 61221 | 13349 | -12158 | 13027 | 5713 | -5204 | 0.21688 | 13 | 0 | 0
3/25/2024 | 4 | 61909 | 13490 | -12242 | 13210 | 5774 | -5240 | 0.21762 | 12 | 0 | 0
3/25/2024 | 5 | 63663 | 14557 | -12880 | 13736 | 6230 | -5513 | 0.2212 | 0 | 0 | 0
3/25/2024 | 6 | 68840 | 15223 | -13594 | 14486 | 6516 | -5818 | 0.21547 | 3 | 0 | 0
3/25/2024 | 7 | 75548 | 15667 | -13842 | 15419 | 6705 | -5924 | 0.20938 | 0 | 0 | 0
3/25/2024 | 8 | 78481 | 15642 | -13829 | 14663 | 6695 | -5919 | 0.19228 | 153 | 0 | 0
3/25/2024 | 9 | 77650 | 11920 | -11110 | 11990 | 5102 | -4755 | 0.15724 | 3 | 0 | 0
3/25/2024 | 10 | 75024 | 11760 | -11793 | 10613 | 5033 | -5047 | 0.14134 | 0 | 0 | 0
3/25/2024 | 11 | 72686 | 11970 | -12659 | 10249 | 5123 | -5418 | 0.13826 | 0 | 0 | 0
3/25/2024 | 12 | 70472 | 11787 | -11872 | 10160 | 5045 | -5081 | 0.14383 | 0 | 0 | 0
3/25/2024 | 13 | 68585 | 12181 | -12139 | 10337 | 5213 | -5196 | 0.15087 | 0 | 0 | 0
3/25/2024 | 14 | 67537 | 12487 | -12661 | 10045 | 5344 | -5419 | 0.148 | 0 | 0 | 0
3/25/2024 | 15 | 67404 | 12155 | -12341 | 9944 | 5203 | -5282 | 0.14676 | 0 | 0 | 0
3/25/2024 | 16 | 68564 | 11891 | -11961 | 9825 | 5089 | -5119 | 0.14301 | 0 | 0 | 0
3/25/2024 | 17 | 70563 | 11806 | -11806 | 10496 | 5053 | -5053 | 0.14875 | 0 | 0 | 0
3/25/2024 | 18 | 73268 | 11638 | -10430 | 12548 | 4981 | -4464 | 0.17543 | 0 | 0 | 0
3/25/2024 | 19 | 76324 | 15134 | -13494 | 15073 | 6478 | -5775 | 0.20235 | 0 | 0 | 0
3/25/2024 | 20 | 79612 | 15974 | -14444 | 16138 | 6837 | -6182 | 0.20696 | 0 | 0 | 0
3/25/2024 | 21 | 78180 | 16063 | -14088 | 16194 | 6875 | -6029 | 0.21259 | 350 | 0 | 0
3/25/2024 | 22 | 75141 | 15554 | -13592 | 16213 | 6657 | -5817 | 0.22117 | 690 | 0 | 0
3/25/2024 | 23 | 71209 | 15214 | -13614 | 16232 | 6512 | -5827 | 0.23235 | 324 | 0 | 0
3/25/2024 | 24 | 67122 | 14791 | -12983 | 15637 | 6331 | -5557 | 0.23808 | 195 | 0 | 0
3/26/2024 | 1 | 65256 | 14294 | -12919 | 15548 | 6118 | -5529 | 0.24218 | 755 | 0 | 0
3/26/2024 | 2 | 63536 | 14292 | -12965 | 14787 | 6117 | -5549 | 0.23673 | 428 | 0 | 0
3/26/2024 | 3 | 62712 | 14208 | -13016 | 14594 | 6081 | -5571 | 0.23635 | 531 | 0 | 0
3/26/2024 | 4 | 62918 | 14311 | -13165 | 14692 | 6125 | -5635 | 0.23698 | 366 | 0 | 0
3/26/2024 | 5 | 64942 | 14738 | -13406 | 15020 | 6308 | -5738 | 0.23524 | 439 | 0 | 0
3/26/2024 | 6 | 69984 | 16118 | -14864 | 16034 | 6899 | -6362 | 0.23261 | 471 | 0 | 0
3/26/2024 | 7 | 76498 | 15254 | -14181 | 16348 | 6529 | -6070 | 0.21667 | 597 | 0 | 0
3/26/2024 | 8 | 79117 | 13551 | -12637 | 15776 | 5800 | -5409 | 0.20201 | 810 | 69 | 0.085185
3/26/2024 | 9 | 77654 | 11742 | -11833 | 12871 | 5025 | -5065 | 0.16543 | 0 | 0 | 0
3/26/2024 | 10 | 75208 | 12778 | -13529 | 10940 | 5469 | -5790 | 0.14262 | 0 | 0 | 0
3/26/2024 | 11 | 72451 | 12906 | -13649 | 10557 | 5524 | -5842 | 0.14279 | 0 | 0 | 0
3/26/2024 | 12 | 69878 | 12966 | -13719 | 10342 | 5549 | -5872 | 0.14494 | 0 | 0 | 0
3/26/2024 | 13 | 67870 | 12854 | -13714 | 10317 | 5502 | -5869 | 0.14849 | 0 | 0 | 0
3/26/2024 | 14 | 66237 | 12080 | -13186 | 10670 | 5170 | -5644 | 0.15655 | 0 | 0 | 0
3/26/2024 | 15 | 64684 | 12181 | -13324 | 10328 | 5213 | -5703 | 0.15483 | 0 | 0 | 0
3/26/2024 | 16 | 65386 | 12154 | -13255 | 10083 | 5202 | -5673 | 0.14952 | 0 | 0 | 0
3/26/2024 | 17 | 67300 | 11483 | -12237 | 10317 | 4915 | -5237 | 0.1502 | 0 | 0 | 0
3/26/2024 | 18 | 70414 | 11233 | -10709 | 11368 | 4808 | -4583 | 0.16342 | 0 | 0 | 0
3/26/2024 | 19 | 74959 | 13757 | -12382 | 14501 | 5888 | -5299 | 0.19768 | 46 | 0 | 0
3/26/2024 | 20 | 78383 | 15184 | -13456 | 17164 | 6499 | -5759 | 0.22349 | 48 | 0 | 0
3/26/2024 | 21 | 78200 | 14942 | -13016 | 18022 | 6395 | -5571 | 0.2352 | 419 | 0 | 0
3/26/2024 | 22 | 74941 | 14597 | -12593 | 17357 | 6248 | -5390 | 0.23673 | 470 | 0 | 0
3/26/2024 | 23 | 70608 | 15239 | -13454 | 16670 | 6522 | -5758 | 0.24082 | 527 | 0 | 0
3/26/2024 | 24 | 66206 | 14370 | -12678 | 15859 | 6150 | -5426 | 0.24423 | 320 | 4 | 0.0125
3/27/2024 | 1 | 64380 | 12859 | -11327 | 16360 | 5504 | -4848 | 0.25816 | 224 | 0 | 0
3/27/2024 | 2 | 62860 | 12784 | -11239 | 16548 | 5471 | -4810 | 0.2672 | 138 | 0 | 0
3/27/2024 | 3 | 62147 | 13061 | -11484 | 16713 | 5590 | -4915 | 0.27286 | 190 | 0 | 0
3/27/2024 | 4 | 62644 | 13177 | -11574 | 17242 | 5640 | -4954 | 0.27905 | 118 | 0 | 0
3/27/2024 | 5 | 64112 | 14066 | -12127 | 17374 | 6020 | -5190 | 0.27561 | 182 | 0 | 0
3/27/2024 | 6 | 69264 | 14891 | -12895 | 17795 | 6374 | -5519 | 0.26172 | 299 | 0 | 0
3/27/2024 | 7 | 75336 | 13481 | -11516 | 17977 | 5770 | -4929 | 0.24344 | 692 | 22 | 0.031792
3/27/2024 | 8 | 78213 | 12105 | -10791 | 16448 | 5181 | -4618 | 0.2139 | 467 | 9 | 0.019272
3/27/2024 | 9 | 77140 | 11152 | -10635 | 13536 | 4773 | -4552 | 0.17715 | 23 | 0 | 0
3/27/2024 | 10 | 74125 | 11432 | -11202 | 11947 | 4893 | -4795 | 0.16199 | 106 | 0 | 0
3/27/2024 | 11 | 72177 | 11505 | -11401 | 11615 | 4924 | -4880 | 0.1613 | 660 | 0 | 0
3/27/2024 | 12 | 70557 | 11492 | -11648 | 11518 | 4919 | -4985 | 0.16267 | 976 | 0 | 0
3/27/2024 | 13 | 69100 | 11541 | -11825 | 11423 | 4940 | -5061 | 0.16424 | 614 | 0 | 0
3/27/2024 | 14 | 68528 | 11499 | -11898 | 11259 | 4922 | -5092 | 0.16276 | 687 | 3 | 0.0043668
3/27/2024 | 15 | 67988 | 11299 | -11598 | 11090 | 4836 | -4964 | 0.16195 | 773 | 122 | 0.15783
3/27/2024 | 16 | 69453 | 10859 | -11115 | 11580 | 4648 | -4757 | 0.16577 | 490 | 82 | 0.16735
3/27/2024 | 17 | 71416 | 11260 | -11199 | 12141 | 4819 | -4793 | 0.17022 | 0 | 0 | 0
3/27/2024 | 18 | 74567 | 11195 | -10098 | 13506 | 4792 | -4322 | 0.18471 | 201 | 0 | 0
3/27/2024 | 19 | 77591 | 11836 | -10764 | 15933 | 5066 | -4607 | 0.20838 | 555 | 0 | 0
3/27/2024 | 20 | 80073 | 13904 | -12652 | 17324 | 5951 | -5415 | 0.21961 | 621 | 0 | 0
3/27/2024 | 21 | 79105 | 13948 | -12444 | 17271 | 5970 | -5326 | 0.22225 | 474 | 0 | 0
3/27/2024 | 22 | 75669 | 13856 | -12175 | 16690 | 5930 | -5211 | 0.22507 | 523 | 0 | 0
3/27/2024 | 23 | 71144 | 15778 | -14128 | 16583 | 6753 | -6047 | 0.23751 | 568 | 0 | 0
3/27/2024 | 24 | 67526 | 14967 | -13452 | 17796 | 6406 | -5757 | 0.26716 | 426 | 0 | 0
3/28/2024 | 1 | 65061 | 13299 | -11509 | 15956 | 5692 | -4926 | 0.25014 | 281 | 0 | 0
3/28/2024 | 2 | 63738 | 13078 | -11467 | 15820 | 5597 | -4908 | 0.25263 | 327 | 0 | 0
3/28/2024 | 3 | 62712 | 12893 | -11378 | 15472 | 5518 | -4870 | 0.25098 | 298 | 0 | 0
3/28/2024 | 4 | 62678 | 13122 | -11784 | 15420 | 5616 | -5044 | 0.24981 | 56 | 0 | 0
3/28/2024 | 5 | 64433 | 13554 | -12297 | 15717 | 5801 | -5263 | 0.24745 | 0 | 0 | 0
3/28/2024 | 6 | 70024 | 13650 | -12650 | 16710 | 5842 | -5414 | 0.2413 | 120 | 0 | 0
3/28/2024 | 7 | 75800 | 13368 | -12199 | 17682 | 5721 | -5221 | 0.23622 | 784 | 77 | 0.098214
3/28/2024 | 8 | 78825 | 11725 | -10720 | 16857 | 5018 | -4588 | 0.21655 | 815 | 115 | 0.1411
3/28/2024 | 9 | 77390 | 11248 | -10761 | 14020 | 4814 | -4606 | 0.1827 | 469 | 4 | 0.0085288
3/28/2024 | 10 | 75705 | 11273 | -11282 | 13002 | 4825 | -4829 | 0.17171 | 0 | 0 | 0
3/28/2024 | 11 | 72425 | 11167 | -11153 | 12623 | 4780 | -4774 | 0.17434 | 0 | 0 | 0
3/28/2024 | 12 | 69900 | 11424 | -11436 | 12193 | 4889 | -4894 | 0.17439 | 0 | 0 | 0
3/28/2024 | 13 | 67924 | 11781 | -11756 | 12029 | 5042 | -5031 | 0.17719 | 0 | 0 | 0
3/28/2024 | 14 | 66729 | 11727 | -11766 | 11527 | 5019 | -5036 | 0.17259 | 0 | 0 | 0
3/28/2024 | 15 | 67112 | 11695 | -11669 | 11265 | 5005 | -4994 | 0.16795 | 0 | 0 | 0
3/28/2024 | 16 | 68772 | 11262 | -11562 | 11437 | 4820 | -4948 | 0.16516 | 0 | 0 | 0
3/28/2024 | 17 | 71851 | 10853 | -10901 | 12053 | 4645 | -4666 | 0.16757 | 0 | 0 | 0
3/28/2024 | 18 | 74581 | 10801 | -9581 | 14001 | 4623 | -4101 | 0.19159 | 18 | 0 | 0
3/28/2024 | 19 | 77250 | 12512 | -11045 | 16095 | 5355 | -4727 | 0.21244 | 41 | 0 | 0
3/28/2024 | 20 | 79996 | 13265 | -12001 | 17009 | 5677 | -5137 | 0.21596 | 13 | 0 | 0
3/28/2024 | 21 | 78661 | 13392 | -11797 | 16994 | 5732 | -5049 | 0.22026 | 371 | 0 | 0
3/28/2024 | 22 | 75634 | 13597 | -11941 | 16886 | 5819 | -5111 | 0.22764 | 503 | 0 | 0
3/28/2024 | 23 | 71605 | 13589 | -12132 | 16800 | 5816 | -5193 | 0.23847 | 280 | 0 | 0
3/28/2024 | 24 | 67964 | 13235 | -11783 | 16685 | 5664 | -5043 | 0.24931 | 212 | 0 | 0
3/29/2024 | 1 | 65465 | 12873 | -11334 | 16943 | 5510 | -4851 | 0.2627 | 308 | 0 | 0
3/29/2024 | 2 | 63718 | 12693 | -11134 | 16747 | 5433 | -4765 | 0.26679 | 148 | 0 | 0
3/29/2024 | 3 | 62531 | 12751 | -11271 | 16447 | 5458 | -4824 | 0.26684 | 2 | 0 | 0
3/29/2024 | 4 | 63043 | 12378 | -11244 | 16658 | 5298 | -4812 | 0.26714 | 0 | 0 | 0
3/29/2024 | 5 | 64488 | 12641 | -11315 | 16569 | 5410 | -4843 | 0.26037 | 0 | 0 | 0
3/29/2024 | 6 | 68437 | 12932 | -11702 | 17264 | 5535 | -5009 | 0.25536 | 137 | 2 | 0.014599
3/29/2024 | 7 | 73418 | 11901 | -10560 | 17677 | 5094 | -4520 | 0.24413 | 333 | 0 | 0
3/29/2024 | 8 | 76625 | 11161 | -10300 | 17066 | 4777 | -4408 | 0.22501 | 191 | 5 | 0.026178
3/29/2024 | 9 | 76840 | 9881 | -9764 | 15174 | 4229 | -4179 | 0.19782 | 838 | 114 | 0.13604
3/29/2024 | 10 | 74555 | 10453 | -10234 | 13837 | 4474 | -4380 | 0.18631 | 142 | 0 | 0
3/29/2024 | 11 | 71519 | 10922 | -10841 | 12757 | 4675 | -4640 | 0.17866 | 12 | 0 | 0
3/29/2024 | 12 | 68254 | 11066 | -10923 | 12177 | 4736 | -4675 | 0.17893 | 0 | 0 | 0
3/29/2024 | 13 | 67235 | 11334 | -11254 | 12314 | 4851 | -4817 | 0.18344 | 0 | 0 | 0
3/29/2024 | 14 | 66337 | 11445 | -11669 | 12364 | 4898 | -4994 | 0.18556 | 0 | 0 | 0
3/29/2024 | 15 | 66667 | 11663 | -11984 | 12471 | 4992 | -5129 | 0.1859 | 0 | 0 | 0
3/29/2024 | 16 | 68019 | 11464 | -12017 | 12614 | 4907 | -5143 | 0.18347 | 0 | 0 | 0
3/29/2024 | 17 | 70100 | 11230 | -11818 | 13705 | 4807 | -5058 | 0.19355 | 0 | 0 | 0
3/29/2024 | 18 | 71983 | 10837 | -10412 | 15314 | 4638 | -4457 | 0.214 | 17 | 0 | 0
3/29/2024 | 19 | 74876 | 12227 | -11689 | 17727 | 5233 | -5003 | 0.23811 | 231 | 0 | 0
3/29/2024 | 20 | 76720 | 12654 | -11886 | 18289 | 5416 | -5087 | 0.24027 | 420 | 0 | 0
3/29/2024 | 21 | 76332 | 12417 | -11426 | 18194 | 5315 | -4890 | 0.2408 | 444 | 8 | 0.018018
3/29/2024 | 22 | 74560 | 12103 | -11441 | 18203 | 5180 | -4897 | 0.24575 | 709 | 76 | 0.10719
3/29/2024 | 23 | 71312 | 12761 | -12146 | 18414 | 5462 | -5198 | 0.25968 | 124 | 0 | 0
3/29/2024 | 24 | 67792 | 12364 | -11738 | 17706 | 5292 | -5024 | 0.26271 | 312 | 1 | 0.0032051
3/30/2024 | 1 | 66260 | 10046 | -10033 | 17065 | 4300 | -4294 | 0.25759 | 417 | 28 | 0.067146
3/30/2024 | 2 | 64056 | 10035 | -9918 | 16671 | 4295 | -4245 | 0.26056 | 318 | 20 | 0.062893
3/30/2024 | 3 | 63137 | 9883 | -9722 | 16701 | 4230 | -4161 | 0.26494 | 549 | 100 | 0.18215
3/30/2024 | 4 | 63015 | 9980 | -9810 | 16959 | 4272 | -4199 | 0.26956 | 556 | 105 | 0.18885
3/30/2024 | 5 | 63508 | 10182 | -9928 | 16941 | 4358 | -4249 | 0.2674 | 643 | 104 | 0.16174
3/30/2024 | 6 | 65362 | 10713 | -10301 | 17391 | 4585 | -4409 | 0.26708 | 480 | 54 | 0.1125
3/30/2024 | 7 | 67779 | 11264 | -10715 | 17337 | 4821 | -4586 | 0.25717 | 699 | 77 | 0.11016
3/30/2024 | 8 | 70251 | 9618 | -8898 | 16801 | 4116 | -3808 | 0.24107 | 690 | 96 | 0.13913
3/30/2024 | 9 | 72091 | 9120 | -8812 | 15621 | 3903 | -3772 | 0.21757 | 159 | 0 | 0
3/30/2024 | 10 | 71575 | 9235 | -9572 | 13981 | 3953 | -4097 | 0.19424 | 0 | 0 | 0
3/30/2024 | 11 | 69910 | 8878 | -9608 | 13045 | 3800 | -4112 | 0.18406 | 0 | 0 | 0
3/30/2024 | 12 | 67930 | 8907 | -9204 | 12033 | 3812 | -3939 | 0.17604 | 0 | 0 | 0
3/30/2024 | 13 | 66140 | 9230 | -9751 | 11456 | 3951 | -4173 | 0.1712 | 0 | 0 | 0
3/30/2024 | 14 | 64966 | 9111 | -9698 | 11334 | 3899 | -4151 | 0.17214 | 0 | 0 | 0
3/30/2024 | 15 | 64423 | 9381 | -9463 | 11725 | 4015 | -4050 | 0.18169 | 0 | 0 | 0
3/30/2024 | 16 | 65621 | 9306 | -9295 | 12464 | 3983 | -3978 | 0.18998 | 0 | 0 | 0
3/30/2024 | 17 | 66700 | 9218 | -9173 | 13815 | 3945 | -3926 | 0.20727 | 313 | 0 | 0
3/30/2024 | 18 | 69489 | 10022 | -9428 | 16327 | 4289 | -4035 | 0.23659 | 512 | 0 | 0
3/30/2024 | 19 | 71895 | 12487 | -11599 | 17611 | 5344 | -4964 | 0.24719 | 267 | 0 | 0
3/30/2024 | 20 | 74647 | 12964 | -12111 | 18563 | 5549 | -5183 | 0.25072 | 296 | 0 | 0
3/30/2024 | 21 | 74702 | 13228 | -12308 | 18861 | 5662 | -5268 | 0.25462 | 694 | 0 | 0
3/30/2024 | 22 | 73093 | 12916 | -12124 | 18841 | 5528 | -5189 | 0.25959 | 699 | 2 | 0.0028612
3/30/2024 | 23 | 70000 | 12363 | -11286 | 18383 | 5292 | -4831 | 0.26512 | 590 | 0 | 0
3/30/2024 | 24 | 66594 | 12279 | -11161 | 17894 | 5255 | -4777 | 0.27133 | 483 | 8 | 0.016563
3/31/2024 | 1 | 63940 | 11975 | -10638 | 17382 | 5125 | -4553 | 0.27504 | 344 | 1 | 0.002907
3/31/2024 | 2 | 62234 | 12123 | -10855 | 16813 | 5189 | -4646 | 0.27331 | 295 | 0 | 0
3/31/2024 | 3 | 60975 | 12697 | -11258 | 16244 | 5434 | -4818 | 0.27013 | 224 | 0 | 0
3/31/2024 | 4 | 61012 | 12124 | -10957 | 16094 | 5189 | -4689 | 0.26687 | 466 | 0 | 0
3/31/2024 | 5 | 61706 | 12468 | -11230 | 16265 | 5336 | -4806 | 0.26682 | 354 | 0 | 0
3/31/2024 | 6 | 63817 | 12928 | -12024 | 16949 | 5533 | -5146 | 0.26786 | 148 | 0 | 0
3/31/2024 | 7 | 66536 | 12557 | -11850 | 17229 | 5374 | -5072 | 0.26071 | 529 | 0 | 0
3/31/2024 | 8 | 68651 | 10600 | -10328 | 16002 | 4537 | -4420 | 0.23387 | 388 | 0 | 0
3/31/2024 | 9 | 70350 | 8708 | -8657 | 13813 | 3727 | -3705 | 0.19652 | 10 | 0 | 0
3/31/2024 | 10 | 68997 | 8673 | -9139 | 11921 | 3712 | -3911 | 0.17105 | 0 | 0 | 0
3/31/2024 | 11 | 66248 | 9778 | -10210 | 10392 | 4185 | -4370 | 0.15508 | 0 | 0 | 0
3/31/2024 | 12 | 63165 | 9614 | -10311 | 9871 | 4115 | -4413 | 0.15325 | 0 | 0 | 0
3/31/2024 | 13 | 62533 | 9699 | -10570 | 9672 | 4151 | -4524 | 0.15081 | 0 | 0 | 0
3/31/2024 | 14 | 61599 | 9503 | -10116 | 9671 | 4067 | -4330 | 0.15426 | 0 | 0 | 0
3/31/2024 | 15 | 59875 | 9598 | -9970 | 9932 | 4108 | -4267 | 0.16424 | 0 | 0 | 0
3/31/2024 | 16 | 60141 | 9356 | -9461 | 10160 | 4004 | -4049 | 0.16848 | 0 | 0 | 0
3/31/2024 | 17 | 62487 | 9034 | -8893 | 11100 | 3866 | -3806 | 0.1782 | 0 | 0 | 0
3/31/2024 | 18 | 64853 | 10217 | -9370 | 13066 | 4373 | -4010 | 0.2044 | 0 | 0 | 0
3/31/2024 | 19 | 67859 | 13766 | -12545 | 15219 | 5892 | -5369 | 0.22788 | 0 | 0 | 0
3/31/2024 | 20 | 71752 | 13660 | -12279 | 16951 | 5847 | -5255 | 0.23988 | 138 | 0 | 0
3/31/2024 | 21 | 72380 | 13288 | -11722 | 17751 | 5687 | -5017 | 0.24911 | 471 | 0 | 0
3/31/2024 | 22 | 70342 | 13217 | -11617 | 17435 | 5657 | -4972 | 0.25187 | 398 | 2 | 0.0050251
3/31/2024 | 23 | 66534 | 13274 | -11401 | 16911 | 5681 | -4879 | 0.25894 | 367 | 0 | 0
3/31/2024 | 24 | 62921 | 12504 | -10516 | 16501 | 5352 | -4501 | 0.26733 | 427 | 25 | 0.058548