## alloc-mn-2026-m03-t2-binding-co
Device Name | EMS Device Name | Type | Direction | Limit | Violation | Contingency | TOU | Clearing Price
7690-CONTRL-INYOKN_EXP_NG_1 |  | Interface |  | 117.3 | 0 |  | OFF | -1.82
Conductor_1035 | PNOCHE-GATES_230_BR_2_1 | Line | From-To | 237 | 0 | PG1 GATES-LOSBNS_1 500 | OFF | 12.98
Conductor_1566 | HILAND-CORTIN_115_BR_1_1 | Line | To-From | 118.3 | 0 | PG1 EGLRK-SLVR-FLTN 115 | OFF | 2.25
Conductor_1747 | KTTLEM-GATES_70_BR_1_1 | Line | To-From | 34.1 | 0 |  | OFF | 2.62
Conductor_1791 | HINDS-MIRAGE_230_BR_1_1 | Line | From-To | 279.6 | 0 | SC1 EAGLMNT-HINDS_1 230 | OFF | 2.09
Conductor_1792 | GATES-MIDWAY_230_BR_1_1 | Line | To-From | 71.7 | 0 |  | OFF | 22.91
Conductor_1897 | RIVBKJ-TULLCK_115_BR_1_1 | Line | To-From | 93.7 | 0 | PG1 STANIS-MELN-RIVR 115 | OFF | 3.15
Conductor_2328 | POEPH-RCKCRK_230_BR_1_1 | Line | To-From | 79.7 | 0 | PG1 VISTRA-MOSSLD 500 | OFF | 283.82
Conductor_24961 | DAVIS-BIOMAS_115_BR_1_1 | Line | From-To | 103 | 0 | PG1 RIOOSO-WSACRA 115 | OFF | 68.44
Conductor_2604 | GRYSFL-ELTOWN_60_BR_2_1 | Line | To-From | 61.7 | 0 | PG1 CARBOU-TBLMTN 230 | OFF | 2.96
Conductor_49 | LOSBNS-PNOCHE_230_BR_2_1 | Line | To-From | 333.8 | 0 | PG1 LOSBNS 500-230 BK1 | OFF | 15.8
Conductor_596 | LOSBNS-WRGHTP_70_BR_1_1 | Line | From-To | 10.3 | 0 | PG1 PNOCHE-OROLOM 115 | OFF | 0.67
Conductor_685 | LAKVIL-VACADX_230_BR_1_1 | Line | To-From | 405.6 | 0 | PG1 LAKVIL-SMUDGO 230 | OFF | 6.13
HUMBOLDT_IMP_NG_1 |  | Interface |  | 53.7 | 0 |  | OFF | -6.16
IID-SDGE_ITC |  | Interface |  | -465.5 | 0 |  | OFF | 4.18
IPPUTAH_ITC |  | Interface |  | -194.3 | 0 |  | OFF | 1.63
NdGrp_AVLYSLR_7_N005 |  | Interface |  | -136.9 | 0 |  | OFF | 1.42
NdGrp_BCRK1-2_1_N003 |  | Interface |  | -1.4 | 0 |  | OFF | 1.92
NdGrp_BCRK1-2_1_N004 |  | Interface |  | -0.3 | 0 |  | OFF | 1.92
NdGrp_BERCYN_7_N001 |  | Interface |  | -14 | 0 |  | OFF | 6.37
NdGrp_BREGGEN_7_N006 |  | Interface |  | -7 | 0 |  | OFF | 1.22
NdGrp_CAMCHE_1_PL1X3-APND |  | Interface |  | -11.1 | 0 |  | OFF | 7.31
NdGrp_CAMDEN_6_N011 |  | Interface |  | -0.6 | 0 |  | OFF | 3.25
NdGrp_CAMERON_7_N008 |  | Interface |  | -0.9 | 0 |  | OFF | 1.98
NdGrp_CEDRCRK_6_N001 |  | Interface |  | -1.1 | 0 |  | OFF | 3.29
NdGrp_CH.STN._7_N001 |  | Interface |  | -10.8 | 0 |  | OFF | 3.12
NdGrp_CITYUKH_1_N001 |  | Interface |  | -3.8 | 0 |  | OFF | 3.23
NdGrp_CLOVRDLE_7_N001 |  | Interface |  | -1.6 | 0 |  | OFF | 3.06
NdGrp_COGNTNL_7_B1 |  | Interface |  | -48.5 | 0 |  | OFF | 5.45
NdGrp_CORRAL1_6_N002 |  | Interface |  | -4.6 | 0 |  | OFF | 2.92
NdGrp_CRELMN_7_N001 |  | Interface |  | -0.5 | 0 |  | OFF | 1.82
NdGrp_CRELMN_7_N003 |  | Interface |  | -0.5 | 0 |  | OFF | 1.98
NdGrp_CURTISS_1_N103 |  | Interface |  | -1 | 0 |  | OFF | 4.4
NdGrp_DAVIS_1_N018 |  | Interface |  | -2.9 | 0 |  | OFF | 37.63
NdGrp_DELAMO_2_N050 |  | Interface |  | -1.5 | 0 |  | OFF | 1.98
NdGrp_DELSURC1_7_N005 |  | Interface |  | -2 | 0 |  | OFF | 1.93
NdGrp_GARNET_7_N017 |  | Interface |  | -1.1 | 0 |  | OFF | 3.14
NdGrp_GOLETA_6_N068 |  | Interface |  | -2.1 | 0 |  | OFF | 1.92
NdGrp_GROUSCRK_6_N002 |  | Interface |  | -5.4 | 0 |  | OFF | 3.3
NdGrp_GUERSEY_7_N003 |  | Interface |  | -1.1 | 0 |  | OFF | 2.73
NdGrp_HIGHLD_1_N004 |  | Interface |  | -4.1 | 0 |  | OFF | 2.64
NdGrp_INDIANV_7_B1 |  | Interface |  | -5.4 | 0 |  | OFF | 3.46
NdGrp_LITLRKC1_7_N004 |  | Interface |  | -2.2 | 0 |  | OFF | 1.93
NdGrp_LITLRKC1_7_N005 |  | Interface |  | -3.2 | 0 |  | OFF | 1.93
NdGrp_MANTECA_1_N033 |  | Interface |  | -1.1 | 0 |  | OFF | 4.77
NdGrp_MANZNA_7_N009 |  | Interface |  | -47.4 | 0 |  | OFF | 2.08
NdGrp_MCCALL_1_N093 |  | Interface |  | -2.7 | 0 |  | OFF | 3.31
NdGrp_MESA-PGE_1_N036 |  | Interface |  | -1.1 | 0 |  | OFF | 1.3
NdGrp_MOORPARK_6_N069 |  | Interface |  | -2.2 | 0 |  | OFF | 1.92
NdGrp_OASISC1_7_N004 |  | Interface |  | -4.1 | 0 |  | OFF | 1.93
NdGrp_OLDRIVR_7_N033 |  | Interface |  | -1.1 | 0 |  | OFF | 0.16
NdGrp_OLDRIVR_7_N044 |  | Interface |  | -1.1 | 0 |  | OFF | 0.16
NdGrp_OLSEN_6_N001 |  | Interface |  | -6.3 | 0 |  | OFF | 3.44
NdGrp_PEORIA_7_N003 |  | Interface |  | -1.6 | 0 |  | OFF | 3.12
NdGrp_PIT5_7_N001 |  | Interface |  | -4.1 | 0 |  | OFF | 1.88
NdGrp_POD_ADLIN_1_UNITS-APND |  | Interface |  | -24.8 | 0 |  | OFF | 3.05
NdGrp_POD_ARBWD_6_QF-APND |  | Interface |  | -20.9 | 0 |  | OFF | 2.02
NdGrp_POD_DTCHWD_2_BT3WND-APND |  | Interface |  | -4.9 | 0 |  | OFF | 1.93
NdGrp_POD_GLDTWN_6_SOLAR-APND |  | Interface |  | -5.4 | 0 |  | OFF | 1.58
NdGrp_POD_MIDWD_2_WIND2-APND |  | Interface |  | -3.2 | 0 |  | OFF | 1.93
NdGrp_POD_NZWIND_2_WDSTR5-APND |  | Interface |  | -7 | 0 |  | OFF | 1.93
NdGrp_POD_NZWIND_6_CALWND-APND |  | Interface |  | -9.4 | 0 |  | OFF | 1.02
NdGrp_POD_NZWIND_6_WDSTR-APND |  | Interface |  | -6.7 | 0 |  | OFF | 1.93
NdGrp_POD_NZWIND_6_WDSTR2-APND |  | Interface |  | -7.4 | 0 |  | OFF | 1.93
NdGrp_POD_NZWIND_6_WDSTR3-APND |  | Interface |  | -6.5 | 0 |  | OFF | 1.93
NdGrp_POD_NZWIND_6_WDSTR4-APND |  | Interface |  | -7.3 | 0 |  | OFF | 1.93
NdGrp_POD_OAKWD_6_ZEPHWD-APND |  | Interface |  | -4.5 | 0 |  | OFF | 1.93
NdGrp_POD_ROSMND_6_SOLAR-APND |  | Interface |  | -3.2 | 0 |  | OFF | 1.93
NdGrp_RAMNGEN_7_N002 |  | Interface |  | -2.2 | 0 |  | OFF | 1.99
NdGrp_RAMNGEN_7_N003 |  | Interface |  | -5.4 | 0 |  | OFF | 1.92
NdGrp_RAMONAGN_7_N001 |  | Interface |  | -4.7 | 0 |  | OFF | 1.99
NdGrp_RECTOR_2_N114 |  | Interface |  | -0.9 | 0 |  | OFF | 1.92
NdGrp_RECTOR_6_N007 |  | Interface |  | -2.5 | 0 |  | OFF | 1.2
NdGrp_RECTOR_6_N009 |  | Interface |  | -1.6 | 0 |  | OFF | 1.92
NdGrp_REDMGEN_7_N001 |  | Interface |  | -4.1 | 0 |  | OFF | 1.93
NdGrp_REDMGEN_7_N003 |  | Interface |  | -3.2 | 0 |  | OFF | 1.93
NdGrp_RICHGEN_7_N002 |  | Interface |  | -2.2 | 0 |  | OFF | 5.43
NdGrp_SAUGUS_6_N015 |  | Interface |  | -1.1 | 0 |  | OFF | 1.92
NdGrp_SCLARA_6_N027 |  | Interface |  | -1.1 | 0 |  | OFF | 1.92
NdGrp_SISQUOC_1_GN001 |  | Interface |  | -1.6 | 0 |  | OFF | 1.29
NdGrp_SPRINGVL_6_N004 |  | Interface |  | -2.7 | 0 |  | OFF | 0.27
NdGrp_SPRNGGP_7_B1 |  | Interface |  | -7.5 | 0 |  | OFF | 3.12
NdGrp_SUNSELGN_7_N002 |  | Interface |  | -4.3 | 0 |  | OFF | 1.93
NdGrp_TEMPLE21_7_N002 |  | Interface |  | -1.6 | 0 |  | OFF | 1.61
NdGrp_TULARE60_6_N001 |  | Interface |  | -3 | 0 |  | OFF | 1.92
NdGrp_TUPMAN_1_N102 |  | Interface |  | -0.6 | 0 |  | OFF | 0.17
NdGrp_VALLEYSC_1_N038 |  | Interface |  | -1.6 | 0 |  | OFF | 0.17
NdGrp_VALLEYSC_1_N102 |  | Interface |  | -6.4 | 0 |  | OFF | 0.27
NdGrp_VICTOR_7_GN001 |  | Interface |  | -1.6 | 0 |  | OFF | 1.1
NdGrp_VICTOR_7_N005 |  | Interface |  | -2.2 | 0 |  | OFF | 1.97
NdGrp_WSTFRSO_1_N017 |  | Interface |  | -1.6 | 0 |  | OFF | 3.35
RDM230_ITC |  | Interface |  | -492.9 | 0 |  | OFF | 5.36
SILVERPK_ITC |  | Interface |  | -16.7 | 0 |  | OFF | 3.44
Transformer_1175 | BNK-1AAH | Transformer | From-To | 821.4 | 0 | SC1 SERRAN-VALLEY_1 500 | OFF | 6.81
Transformer_738 | BNK-11 | Transformer | To-From | 830.2 | 0 | PG1 METCLF 500-230 BK13 | OFF | 13.89
Transformer_80 | BNK-2 | Transformer | To-From | 37.6 | 0 | PG1 EGLRCK-GYS5X6 115 | OFF | 0.98
_07fb223e-dc52-4720-83f8-2b8a05b13076 | KRAMER-VICTOR_230_BR_2_1 | Line | From-To | 377 | 0 | SC1 KRAMER-VICTOR_1 230 | OFF | 2.17
_adcf3f3a-cefd-492b-861d-b6071590628d | ARVIN_70-IL1 | Line | To-From | 9.9 | 0 | PG1 MIDWAY-BITWTR 230 2 | OFF | 1.02
_ae6c45ec-f3fe-4202-a86a-111568e17f71 | LGRAND-ADERA_115_BR_1_1 | Line | From-To | 131.5 | 0 | PG1 MNDOTA-PNOCHE 115 | OFF | 5.36
7690-CONTRL-INYOKN_EXP_NG_1 |  | Interface |  | 100 | 0 |  | ON | -2.45
7820_TL23040_IV_SPS_NG_1 |  | Interface |  | 376.3 | 0 |  | ON | -0.75
Conductor_1035 | PNOCHE-GATES_230_BR_2_1 | Line | From-To | 234.3 | 0 | PG1 GATES-LOSBNS_1 500 | ON | 36.14
Conductor_1747 | KTTLEM-GATES_70_BR_1_1 | Line | To-From | 34.1 | 0 |  | ON | 0.68
Conductor_1792 | GATES-MIDWAY_230_BR_1_1 | Line | To-From | 181.1 | 0 | PG1 GATES-MIDWAY 500 | ON | 12.24
Conductor_2328 | POEPH-RCKCRK_230_BR_1_1 | Line | To-From | 39.7 | 0 | PG1 VISTRA-MOSSLD 500 | ON | 291.06
Conductor_24961 | DAVIS-BIOMAS_115_BR_1_1 | Line | From-To | 102.1 | 0 | PG1 RIOOSO-WSACRA 115 | ON | 2.59
Conductor_2528 | ELCAJN-LCOCHS_69_BR_1_1 | Line | To-From | 46.4 | 0 | SD1 LCOCHS-GR-MIGUEL 69 | ON | 74.25
Conductor_2604 | GRYSFL-ELTOWN_60_BR_2_1 | Line | To-From | 61.7 | 0 | PG1 CARBOU-TBLMTN 230 | ON | 7.26
Conductor_2695 | SJOAQN-GIFFEN_70_BR_1_1 | Line | From-To | 48.9 | 0 |  | ON | 2.8
Conductor_2866 | CURTIS-SPIFBD_115_BR_1_1 | Line | To-From | 93.7 | 0 | PG1 VISTRA-MOSSLD 500 | ON | 1.7
Conductor_49 | LOSBNS-PNOCHE_230_BR_2_1 | Line | To-From | 361.3 | 0 | PG1 LOSBNS 500-230 BK1 | ON | 18.09
Conductor_596 | LOSBNS-WRGHTP_70_BR_1_1 | Line | From-To | 11.8 | 0 | PG1 PNOCHE-OROLOM 115 | ON | 6.99
Conductor_60179 | MEDISO-MEAD_230_BR_PR_1 | Line | From-To | 404.1 | 0 | SC1 ELDORD 500-230 BK5AA | ON | 0.67
Conductor_685 | LAKVIL-VACADX_230_BR_1_1 | Line | To-From | 407 | 0 | PG1 LAKVIL-SMUDGO 230 | ON | 2.91
HUMBOLDT_IMP_NG_1 |  | Interface |  | 57.4 | 0 |  | ON | -9.05
IID-SDGE_ITC |  | Interface |  | -442 | 0 |  | ON | 1.7
NdGrp_AGUCALG1_7_B1 |  | Interface |  | -312.6 | 0 |  | ON | 2.52
NdGrp_ALLEGHNY_6_N002 |  | Interface |  | -0.6 | 0 |  | ON | 1.61
NdGrp_BCRK1-2_1_N003 |  | Interface |  | -1.4 | 0 |  | ON | 0.41
NdGrp_BCRK1-2_1_N004 |  | Interface |  | -0.3 | 0 |  | ON | 0.41
NdGrp_BIGSKGN5_7_N001 |  | Interface |  | -5.4 | 0 |  | ON | 0.32
NdGrp_BLYTHESC_1_GN001 |  | Interface |  | -22.6 | 0 |  | ON | 7.43
NdGrp_BLYTHESC_1_N008 |  | Interface |  | -21.6 | 0 |  | ON | 5.06
NdGrp_BSKYNPM_7_N004 |  | Interface |  | -5.4 | 0 |  | ON | 0.24
NdGrp_C7-1-S1_1_N002 |  | Interface |  | -53.9 | 0 |  | ON | 0.84
NdGrp_C7-2-S1_1_N002 |  | Interface |  | -53.9 | 0 |  | ON | 0.79
NdGrp_CALIPSF_7_N001 |  | Interface |  | -21.6 | 0 |  | ON | 0.89
NdGrp_CITYUKH_1_N001 |  | Interface |  | -3.8 | 0 |  | ON | 6.47
NdGrp_CLARMNT_1_N028 |  | Interface |  | -1.4 | 0 |  | ON | 1.37
NdGrp_CLOVRDLE_7_N001 |  | Interface |  | -1.6 | 0 |  | ON | 6.82
NdGrp_COTTLE_7_N002 |  | Interface |  | -5.4 | 0 |  | ON | 5.23
NdGrp_DELAMO_2_N050 |  | Interface |  | -1.5 | 0 |  | ON | 6.87
NdGrp_DELAMO_2_N060 |  | Interface |  | -1.6 | 0 |  | ON | 6.87
NdGrp_DELSURC1_7_N004 |  | Interface |  | -2.1 | 0 |  | ON | 0.31
NdGrp_DELSURC2_7_N003 |  | Interface |  | -3.2 | 0 |  | ON | 0.32
NdGrp_DELSUR_6_N008 |  | Interface |  | -7 | 0 |  | ON | 0.33
NdGrp_FULTON_1_N020 |  | Interface |  | -1.1 | 0 |  | ON | 1.65
NdGrp_GARNET_1_N106 |  | Interface |  | -2.3 | 0 |  | ON | 1.25
NdGrp_GOLETA_6_N068 |  | Interface |  | -2.1 | 0 |  | ON | 0.66
NdGrp_KRMNFCP_7_N002 |  | Interface |  | -1.6 | 0 |  | ON | 2.72
NdGrp_LITLRKC1_7_N004 |  | Interface |  | -2.2 | 0 |  | ON | 0.32
NdGrp_LITLRKC1_7_N005 |  | Interface |  | -3.2 | 0 |  | ON | 0.32
NdGrp_LNCSTRC1_7_N002 |  | Interface |  | -6.1 | 0 |  | ON | 0.32
NdGrp_MOORPARK_6_N069 |  | Interface |  | -2.2 | 0 |  | ON | 0.66
NdGrp_OCOTLO_7_N002 |  | Interface |  | -53.9 | 0 |  | ON | 0.57
NdGrp_POD_ADLIN_1_UNITS-APND |  | Interface |  | -24.8 | 0 |  | ON | 6.86
NdGrp_POD_BRDGVL_7_BAKER-APND |  | Interface |  | -2.7 | 0 |  | ON | 1.93
NdGrp_POD_MIDWD_2_WIND2-APND |  | Interface |  | -3.2 | 0 |  | ON | 0.21
NdGrp_POD_ROSMND_6_SOLAR-APND |  | Interface |  | -3.2 | 0 |  | ON | 0.32
NdGrp_PRCTRV1_7_N001 |  | Interface |  | -2.2 | 0 |  | ON | 0.4
NdGrp_PSQUINCY_6_GN001 |  | Interface |  | -6.9 | 0 |  | ON | 4.95
NdGrp_RECTOR_2_N114 |  | Interface |  | -0.9 | 0 |  | ON | 0.49
NdGrp_RECTOR_6_N007 |  | Interface |  | -2.5 | 0 |  | ON | 0.49
NdGrp_RECTOR_6_N008 |  | Interface |  | -7.1 | 0 |  | ON | 0.49
NdGrp_RECTOR_6_N009 |  | Interface |  | -1.6 | 0 |  | ON | 0.49
NdGrp_RECTOR_6_N011 |  | Interface |  | -3.8 | 0 |  | ON | 0.49
NdGrp_REDMGEN_7_N001 |  | Interface |  | -4.1 | 0 |  | ON | 0.32
NdGrp_REDMGEN_7_N003 |  | Interface |  | -3.2 | 0 |  | ON | 0.32
NdGrp_SANMRCOS_6_GN010 |  | Interface |  | -2.2 | 0 |  | ON | 1
NdGrp_SAUGUS_6_N015 |  | Interface |  | -1.1 | 0 |  | ON | 0.66
NdGrp_SCLARA_6_N027 |  | Interface |  | -1.1 | 0 |  | ON | 0.66
NdGrp_SPRINGVL_6_N004 |  | Interface |  | -2.7 | 0 |  | ON | 0.49
NdGrp_SPRINGVL_6_N008 |  | Interface |  | -3.8 | 0 |  | ON | 0.49
NdGrp_SPRINGVL_6_N009 |  | Interface |  | -4.3 | 0 |  | ON | 0.49
NdGrp_SPRINGVL_6_N010 |  | Interface |  | -3.8 | 0 |  | ON | 0.49
NdGrp_SPRNGGP_7_B1 |  | Interface |  | -7.5 | 0 |  | ON | 3.82
NdGrp_TULARE60_6_N001 |  | Interface |  | -3 | 0 |  | ON | 0.49
NdGrp_TULLCK_7_UNITS-APND |  | Interface |  | -29.1 | 0 |  | ON | 4.65
NdGrp_VALLEYSC_1_N038 |  | Interface |  | -1.6 | 0 |  | ON | 1.67
NdGrp_VESTAL_6_GN010 |  | Interface |  | -5.4 | 0 |  | ON | 0.49
NdGrp_VILLAPK_6_N005 |  | Interface |  | -4.4 | 0 |  | ON | 1.5
NdGrp_VLYCGEN_7_N003 |  | Interface |  | -5.4 | 0 |  | ON | 0.29
NdGrp_WISTER_7_N001 |  | Interface |  | -21.6 | 0 |  | ON | 0.55
NdGrp_WSTFRSO_1_N017 |  | Interface |  | -1.6 | 0 |  | ON | 1.41
RDM230_ITC |  | Interface |  | -492.9 | 0 |  | ON | 5.43
Transformer_1175 | BNK-1AAH | Transformer | From-To | 821.4 | 0 | SC1 SERRAN-VALLEY_1 500 | ON | 3.49
Transformer_738 | BNK-11 | Transformer | To-From | 830.2 | 0 | PG1 METCLF 500-230 BK13 | ON | 36.08
_07fb223e-dc52-4720-83f8-2b8a05b13076 | KRAMER-VICTOR_230_BR_2_1 | Line | From-To | 399.9 | 0 | SC1 KRAMER-VICTOR_1 230 | ON | 1.8
_F4CF6182-A058-41FD-A7BB-AC4F465E512C | MESAS_LAGBEL_230_BR_2_1 | Line | From-To | 1162.5 | 0 | SC1 MESAS-LAGBEL_1 230 | ON | 18.09
_a21c67ba-a707-4366-b8ab-1f651d6bec69 | MOSSLD-LASAGI_230_BR_1_1 | Line | From-To | 326 | 0 | PG1 MOSSLD 500-230 BK9 | ON | 29.55
_adcf3f3a-cefd-492b-861d-b6071590628d | ARVIN_70-IL1 | Line | To-From | 9.6 | 0 | PG1 MIDWAY-BITWTR 230 2 | ON | 5.82
_ae6c45ec-f3fe-4202-a86a-111568e17f71 | LGRAND-ADERA_115_BR_1_1 | Line | From-To | 131.5 | 0 | PG1 MNDOTA-PNOCHE 115 | ON | 6.91
e0bc1dcf-0b2f-42ad-b0e3-467e3e8873d7 | BLYT_BLYT_1161_R | Line | To-From | 218.7 | 0 |  | ON | 6.07