## Sheet1
Device Name | EMS Device Name | Type | Direction | Limit | Violation | Contingency | TOU | Clearing Price
7690-CONTRL-INYOKN_EXP_NG_1 |  | Interface |  | 112.1 | 0 |  | OFF | -23.18
7820_TL 230S_OVERLOAD_NG_3 |  | Interface |  | 353 | 0 |  | OFF | -19.33
COTPISO_ITC |  | Interface |  | -167.7 | 0 |  | OFF | 3.38
Conductor_1044 | MERCED-MERCFL_70_BR_1_1 | Line | To-From | 47 | 0 | PG1 BRDSLD BUS 1 230 | OFF | 1.36
Conductor_1048 | LOSBNS-PCHCOP_70_BR_1_1 | Line | From-To | 2.5 | 0 |  | OFF | 49259.44
Conductor_1747 | KTTLEM-GATES_70_BR_1_1 | Line | To-From | 28.2 | 0 |  | OFF | 2.31
Conductor_1897 | RIVBKJ-TULLCK_115_BR_1_1 | Line | To-From | 68.7 | 0 |  | OFF | 10.02
Conductor_2333 | COLGAT-RIOOSO_230_BR_1_1 | Line | From-To | 89.1 | 0 | PG1 BRDSLD BUS 1 230 | OFF | 3183.13
Conductor_2518 | BANKPP-ALTMID_230_BR_1_1 | Line | From-To | 327.1 | 0 | PG1 BRDSLD BUS 1 230 | OFF | 15.1
Conductor_2699 | COLGAT-NAROW1_60_BR_2_1 | Line | To-From | 1.9 | 0 |  | OFF | 18.37
Conductor_2782 | PALRMO-COLGAT_230_BR_1_1 | Line | From-To | 21.5 | 0 |  | OFF | 3208.32
Conductor_404 | COLGAT-NAROW1_60_BR_1_1 | Line | To-From | 1.3 | 0 |  | OFF | 3.79
Conductor_736 | HOPLND-CLVDJT_60_BR_1_1 | Line | To-From | 22.3 | 0 | PG1 EGLRK-SLVR-FLTN 115 | OFF | 137.47
Conductor_902 | ULTPCH-PEORIA_115_BR_1_1 | Line | To-From | 93.7 | 0 | PG1 BRDSLD BUS 1 230 | OFF | 1.18
HUMBOLDT_IMP_NG_1 |  | Interface |  | 41.1 | 0 |  | OFF | -5.23
MALIN500_ISL |  | Interface |  | -2414.3 | 0 |  | OFF | 1.32
NdGrp_2PBLSM34_7_N001 |  | Interface |  | -10.2 | 0 |  | OFF | 1.27
NdGrp_BKR111_7_N002 |  | Interface |  | -1.5 | 0 |  | OFF | 1.86
NdGrp_CAMCHE_1_PL1X3-APND |  | Interface |  | -11.1 | 0 |  | OFF | 1.27
NdGrp_CAMDEN_6_N011 |  | Interface |  | -0.6 | 0 |  | OFF | 0.17
NdGrp_CLOVRDLE_7_N001 |  | Interface |  | -1.6 | 0 |  | OFF | 1.56
NdGrp_DAGGET_7_N013 |  | Interface |  | -18.3 | 0 |  | OFF | 1.61
NdGrp_FROGTOWN_7_N004 |  | Interface |  | -1.5 | 0 |  | OFF | 2.14
NdGrp_FROGTOWN_7_N005 |  | Interface |  | -3.9 | 0 |  | OFF | 1.73
NdGrp_FRTSWRD_6_GN001 |  | Interface |  | -1.6 | 0 |  | OFF | 0.3
NdGrp_FULTON_1_N020 |  | Interface |  | -1.1 | 0 |  | OFF | 1.09
NdGrp_LEMORSLR_7_N001 |  | Interface |  | -1.6 | 0 |  | OFF | 0.79
NdGrp_LEMORSLR_7_N004 |  | Interface |  | -3.2 | 0 |  | OFF | 0.26
NdGrp_LOWGAP1_1_N004 |  | Interface |  | -1.1 | 0 |  | OFF | 1.29
NdGrp_LOWGAP_7_N002 |  | Interface |  | -3.8 | 0 |  | OFF | 0.91
NdGrp_OILFLDS_6_N009 |  | Interface |  | -4.7 | 0 |  | OFF | 3.3
NdGrp_PEORIA_7_N003 |  | Interface |  | -1.6 | 0 |  | OFF | 1.18
NdGrp_PHOENIX_7_N001 |  | Interface |  | -2.2 | 0 |  | OFF | 0.28
NdGrp_POD_ARBWD_6_QF-APND |  | Interface |  | -20.9 | 0 |  | OFF | 0.87
NdGrp_PSQUINCY_6_GN001 |  | Interface |  | -8 | 0 |  | OFF | 5.92
NdGrp_RDWAY_7_N002 |  | Interface |  | -3.2 | 0 |  | OFF | 0.35
NdGrp_SNLSOB_1_N023 |  | Interface |  | -0.9 | 0 |  | OFF | 1.51
NdGrp_SPRNGGP_7_B1 |  | Interface |  | -7.5 | 0 |  | OFF | 0.07
NdGrp_TEMPLE21_7_N002 |  | Interface |  | -1.6 | 0 |  | OFF | 1.37
RDM230_ITC |  | Interface |  | -329 | 0 |  | OFF | 3.38
Transformer_18890 | BNK-4 | Transformer | From-To | 172.5 | 0 | PG1 HENRTA-LEMOOR 70 | OFF | 0.15
Transformer_686 | BNK-3 | Transformer | To-From | 7.5 | 0 |  | OFF | 3199.23
_49f77052-6ba3-42b8-aeab-be585bb07ff7 | ME-JF 138 | Line | From-To | 69.2 | 0 | VE1 VEAVST-PAHRUM 138 | OFF | 1.24
_5049f92a-99c9-40e1-8a4c-26650fb245b4 | TAFT-CUYAMS_70_BR_1_1 | Line | From-To | 28.2 | 0 |  | OFF | 1.38
_B9D63FCF-E9E4-4A4C-9752-21FC346A4D29 | FERNRD-RNDMTN_500_BR_1_1 | Line | To-From | 832.7 | 0 |  | OFF | 12.42
_a21c67ba-a707-4366-b8ab-1f651d6bec69 | MOSSLD-LASAGI_230_BR_1_1 | Line | From-To | 228.1 | 0 | PG1 MOSSLD-LOSBNS 500 | OFF | 56.44
_e9d472d6-fdd3-4017-b832-2c23bf382456 | KRAMER-VICTOR_230_BR_1_1 | Line | From-To | 521.8 | 0 | SC1 KRAMER-VICTOR_2 230 | OFF | 0.78
7690-CONTRL-INYOKN_EXP_NG_1 |  | Interface |  | 99.3 | 0 |  | ON | -3.07
7820_TL 230S_OVERLOAD_NG_3 |  | Interface |  | 351.4 | 0 |  | ON | -8.44
Conductor_1044 | MERCED-MERCFL_70_BR_1_1 | Line | To-From | 40.3 | 0 | PG1 EXCHEC-MARIPS 70 | ON | 0.98
Conductor_1048 | LOSBNS-PCHCOP_70_BR_1_1 | Line | From-To | 1.1 | 0 |  | ON | 53753.04
Conductor_1747 | KTTLEM-GATES_70_BR_1_1 | Line | To-From | 28.2 | 0 |  | ON | 1.59
Conductor_1991 | KNGBRG-CNTDNA_115_BR_1_1 | Line | From-To | 124.9 | 0 | PG1 HENRTA 230-115 BK3 | ON | 0.3
Conductor_2333 | COLGAT-RIOOSO_230_BR_1_1 | Line | From-To | 91 | 0 |  | ON | 83.69
Conductor_2333 | COLGAT-RIOOSO_230_BR_1_1 | Line | From-To | 110.6 | 0 | PG1 POEPH-RIOOSO 230 | ON | 57.75
Conductor_2695 | SJOAQN-GIFFEN_70_BR_1_1 | Line | From-To | 32.6 | 0 |  | ON | 1.23
Conductor_2716 | KNOCTI-EGLRCK_60_BR_1_1 | Line | From-To | 41.9 | 0 | PG1 UKIAH-CLOVDL 115 | ON | 17.79
Conductor_2782 | PALRMO-COLGAT_230_BR_1_1 | Line | From-To | 80.8 | 0 | SC1 SUNCRK-WINHUB_1 230 | ON | 46.69
Conductor_2782 | PALRMO-COLGAT_230_BR_1_1 | Line | From-To | 80.8 | 0 | PG1 BRDSLD BUS 1 230 | ON | 69.73
Conductor_2866 | CURTIS-SPIFBD_115_BR_1_1 | Line | To-From | 77 | 0 |  | ON | 2.86
Conductor_477 | MCCALL-GARDIN_115_BR_1_1 | Line | From-To | 115.9 | 0 | PG1 MCCALL-KNGBRG 115 2 | ON | 0.05
Conductor_736 | HOPLND-CLVDJT_60_BR_1_1 | Line | To-From | 22.3 | 0 | PG1 EGLRK-SLVR-FLTN 115 | ON | 16.22
Conductor_853 | NEENCH-WESPAC_66_BR_1_1 | Line | From-To | 54.3 | 0 |  | ON | 1.26
HUMBOLDT_IMP_NG_1 |  | Interface |  | 51 | 0 |  | ON | -3.94
NdGrp_2PBLSM34_7_N001 |  | Interface |  | -10.2 | 0 |  | ON | 1.2
NdGrp_APLHILGN_7_N002 |  | Interface |  | -2.9 | 0 |  | ON | 1.41
NdGrp_AVENAL_6_GN001 |  | Interface |  | -6.5 | 0 |  | ON | 0.25
NdGrp_BARRE_2_N043 |  | Interface |  | -0.2 | 0 |  | ON | 1.2
NdGrp_BCKSCRK_2_N004 |  | Interface |  | -1.1 | 0 |  | ON | 2.97
NdGrp_BCKSCRK_7_N002 |  | Interface |  | -1.4 | 0 |  | ON | 3.49
NdGrp_BCRK1-2_1_N003 |  | Interface |  | -1.4 | 0 |  | ON | 0.7
NdGrp_BCRK1-2_1_N004 |  | Interface |  | -0.3 | 0 |  | ON | 1.5
NdGrp_BKR111_7_N002 |  | Interface |  | -1.5 | 0 |  | ON | 0.45
NdGrp_BORREGO_6_N009 |  | Interface |  | -28 | 0 |  | ON | 0.56
NdGrp_BREGGEN_7_N006 |  | Interface |  | -7 | 0 |  | ON | 0.67
NdGrp_CAMERON_7_N008 |  | Interface |  | -0.9 | 0 |  | ON | 1.44
NdGrp_CENTANTE_7_N001 |  | Interface |  | -21.6 | 0 |  | ON | 0.23
NdGrp_CENTERS_6_N008 |  | Interface |  | -2 | 0 |  | ON | 0.28
NdGrp_COGNTNL_7_B1 |  | Interface |  | -48.5 | 0 |  | ON | 0.77
NdGrp_CRANEVLY_6_N003 |  | Interface |  | -1 | 0 |  | ON | 0.05
NdGrp_DAIRYLND_1_N013 |  | Interface |  | -0.9 | 0 |  | ON | 1.23
NdGrp_DARYLDGN_7_N003 |  | Interface |  | -2.2 | 0 |  | ON | 0.42
NdGrp_DAVIS_1_N029 |  | Interface |  | -1.1 | 0 |  | ON | 2.31
NdGrp_DELAMO_2_N061 |  | Interface |  | -1.9 | 0 |  | ON | 1.66
NdGrp_DELAMO_2_N073 |  | Interface |  | -1.1 | 0 |  | ON | 1.49
NdGrp_DELSURC1_7_N004 |  | Interface |  | -2 | 0 |  | ON | 0.24
NdGrp_DELSUR_6_CREST-APND |  | Interface |  | -9.2 | 0 |  | ON | 0.72
NdGrp_DERRICK_6_N003 |  | Interface |  | -20.5 | 0 |  | ON | 0.37
NdGrp_ELKHILLS_7_N001 |  | Interface |  | -1.6 | 0 |  | ON | 0.41
NdGrp_GANSOGN_7_N001 |  | Interface |  | -1.1 | 0 |  | ON | 0.51
NdGrp_GOLETA_6_N068 |  | Interface |  | -2.1 | 0 |  | ON | 0.44
NdGrp_GWF_CT2_7_N003 |  | Interface |  | -70 | 0 |  | ON | 0.24
NdGrp_IGNACIO_1_N028 |  | Interface |  | -1.1 | 0 |  | ON | 1.31
NdGrp_ISIS_7_N002 |  | Interface |  | -21.6 | 0 |  | ON | 0.71
NdGrp_KINGSBRG_7_N003 |  | Interface |  | -1.6 | 0 |  | ON | 0.05
NdGrp_LEMORSLR_7_N001 |  | Interface |  | -1.6 | 0 |  | ON | 1.11
NdGrp_LITLRKC1_7_N004 |  | Interface |  | -2.2 | 0 |  | ON | 0.22
NdGrp_LITTLERK_6_N016 |  | Interface |  | -2.2 | 0 |  | ON | 1.14
NdGrp_LITTLERK_6_N019 |  | Interface |  | -2.2 | 0 |  | ON | 0.19
NdGrp_LIVEOAK_7_N003 |  | Interface |  | -1.4 | 0 |  | ON | 0.63
NdGrp_LOCKFORD_7_N003 |  | Interface |  | -2.7 | 0 |  | ON | 0.92
NdGrp_MAGUNDEN_1_N005 |  | Interface |  | -1.1 | 0 |  | ON | 0.45
NdGrp_OASISC1_7_N003 |  | Interface |  | -1.6 | 0 |  | ON | 0.42
NdGrp_OASISC1_7_N009 |  | Interface |  | -1.1 | 0 |  | ON | 0.37
NdGrp_PEORIA_7_N003 |  | Interface |  | -1.6 | 0 |  | ON | 2.39
NdGrp_PHOENIX_7_N001 |  | Interface |  | -2.2 | 0 |  | ON | 1.95
NdGrp_POD_ADERA_1_SOLAR1-APND |  | Interface |  | -21.6 | 0 |  | ON | 0.23
NdGrp_POD_ARVINN_6_ORION1-APND |  | Interface |  | -12.9 | 0 |  | ON | 0.36
NdGrp_POD_ARVINN_6_ORION2-APND |  | Interface |  | -8.6 | 0 |  | ON | 0.39
NdGrp_POD_JACMSR_1_JACSR1-APND |  | Interface |  | -21.2 | 0 |  | ON | 1.72
NdGrp_POD_SEGS_1_SR2SL2-APND |  | Interface |  | -21.6 | 0 |  | ON | 0.33
NdGrp_POD_TRNQL8_2_AMASR1-APND |  | Interface |  | -21.6 | 0 |  | ON | 0.12
NdGrp_POD_WESTPT_2_UNIT-APND |  | Interface |  | -15.1 | 0 |  | ON | 0.78
NdGrp_PSQUINCY_6_GN001 |  | Interface |  | -6.5 | 0 |  | ON | 1.58
NdGrp_RDWAY_7_N002 |  | Interface |  | -3.2 | 0 |  | ON | 0.47
NdGrp_RECTOR_2_N114 |  | Interface |  | -0.9 | 0 |  | ON | 1.14
NdGrp_RECTOR_6_N009 |  | Interface |  | -1.6 | 0 |  | ON | 0.64
NdGrp_ROADWAY_1_N013 |  | Interface |  | -9.2 | 0 |  | ON | 0.57
NdGrp_ROADWAY_1_N019 |  | Interface |  | -0.5 | 0 |  | ON | 1.75
NdGrp_S622B_7_N003 |  | Interface |  | -21.6 | 0 |  | ON | 0.31
NdGrp_SAUGUS_6_N015 |  | Interface |  | -1.1 | 0 |  | ON | 1.17
NdGrp_SISQUOC_1_GN001 |  | Interface |  | -1.6 | 0 |  | ON | 1.92
NdGrp_SMYRNA2_1_N009 |  | Interface |  | -1.1 | 0 |  | ON | 0.47
NdGrp_SNLSOB_1_N023 |  | Interface |  | -0.9 | 0 |  | ON | 2
NdGrp_SUNHRVST_7_N001 |  | Interface |  | -1.6 | 0 |  | ON | 0.09
NdGrp_SUNSELGN_7_N002 |  | Interface |  | -4.3 | 0 |  | ON | 0.34
NdGrp_TEMPLE21_7_N002 |  | Interface |  | -1.6 | 0 |  | ON | 1.98
NdGrp_TUPMAN_1_N102 |  | Interface |  | -1.7 | 0 |  | ON | 1.11
NdGrp_TVYVLLY_6_N008 |  | Interface |  | -1.4 | 0 |  | ON | 0.04
NdGrp_TWISSLMN_6_N005 |  | Interface |  | -1.6 | 0 |  | ON | 0.05
RDM230_ITC |  | Interface |  | -329 | 0 |  | ON | 2.51
Transformer_18890 | BNK-4 | Transformer | From-To | 172.5 | 0 | PG1 HENRTA-LEMOOR 70 | ON | 0.76
Transformer_613 | BNK-1 | Transformer | From-To | 75.3 | 0 | PG1 GATES 230-70 BK5 | ON | 0.37
Transformer_686 | BNK-3 | Transformer | To-From | 13.7 | 0 |  | ON | 120.92
_07fb223e-dc52-4720-83f8-2b8a05b13076 | KRAMER-VICTOR_230_BR_2_1 | Line | From-To | 521.8 | 0 | SC1 KRAMER-VICTOR_1 230 | ON | 1.05
_16350d46-29b6-4ba7-899f-17aebe2cea2c | SCHNDR-PAIGES_70_BR_1_1 | Line | From-To | 38 | 0 | PG1 GATES 230-70 BK5 | ON | 1.16
_5049f92a-99c9-40e1-8a4c-26650fb245b4 | TAFT-CUYAMS_70_BR_1_1 | Line | From-To | 28.2 | 0 |  | ON | 0.11
_54097BFB-1E9D-41C1-A809-F1C9D9E77DD2 | FERNRD-TBLMTN_500_BR_1_1 | Line | From-To | 786.9 | 0 | PG1 TESLA-TRACY 500 | ON | 21.95
_9749335d-ac2c-497e-9f9e-2663cbd70558 | KNGBRG-FRESHW_115_BR_1_1 | Line | From-To | 62.3 | 0 | PG1 KNGBRG-WAUKNA 115 | ON | 1.31
_D3A422B8-753C-4F09-B45A-E1285B0A57E7 | BNK-2AAH | Transformer | From-To | 720.3 | 0 | SC1 MESAS-LAGBEL_2 230 | ON | 14.24
_a21c67ba-a707-4366-b8ab-1f651d6bec69 | MOSSLD-LASAGI_230_BR_1_1 | Line | From-To | 225.7 | 0 | PG1 MOSSLD-LOSBNS 500 | ON | 31.57
_adcf3f3a-cefd-492b-861d-b6071590628d | ARVIN_70-IL1 | Line | To-From | 26.8 | 0 | PG1 WHELRG-WEEDPC 70 | ON | 0.12
_ae6c45ec-f3fe-4202-a86a-111568e17f71 | LGRAND-ADERA_115_BR_1_1 | Line | From-To | 115.9 | 0 | PG1 MNDOTA-PNOCHE 115 | ON | 1.11