## Sheet1
Device Name | EMS Device Name | Type | Direction | Limit | Violation | Contingency | TOU | Clearing Price
7690-CONTRL-INYOKN_EXP_NG_1 |  | Interface | null | 112.1 | 0 |  | OFF | -23
7690-CONTRL-INYOKN_EXP_NG_1 |  | Interface | null | 99.4 | 0 |  | ON | -1.67
7820_TL 230S_OVERLOAD_NG_3 |  | Interface | null | 353 | 0 |  | OFF | -10.66
7820_TL 230S_OVERLOAD_NG_3 |  | Interface | null | 351.3 | 0 |  | ON | -9.72
7820_TL23040_IV_SPS_NG_1 |  | Interface | null | 376.3 | 0 |  | ON | -7.42
8610_SylmarBNK_N-S_Import_NG_1 |  | Interface | null | 737 | 0 |  | OFF | -2.09
COTPISO_ITC |  | Interface | null | -167.7 | 0 |  | OFF | 3.67
HUMBOLDT_IMP_NG_1 |  | Interface | null | 41.1 | 0 |  | OFF | -4.92
HUMBOLDT_IMP_NG_1 |  | Interface | null | 51 | 0 |  | ON | -5.08
MALIN500_ISL |  | Interface | null | -2414.3 | 0 |  | OFF | 3.68
NdGrp_2PBLSM34_7_N001 |  | Interface | null | -10.2 | 0 |  | OFF | 1.92
NdGrp_2PBLSM34_7_N001 |  | Interface | null | -10.2 | 0 |  | ON | 1.55
NdGrp_ALLEGHNY_6_N002 |  | Interface | null | -0.6 | 0 |  | OFF | 191.58
NdGrp_APLHILGN_7_N002 |  | Interface | null | -2.9 | 0 |  | ON | 6.97
NdGrp_BARRE_2_N043 |  | Interface | null | -0.2 | 0 |  | ON | 2.09
NdGrp_BCKSCRK_2_N004 |  | Interface | null | -1.1 | 0 |  | ON | 5.52
NdGrp_BCKSCRK_7_N002 |  | Interface | null | -1.4 | 0 |  | ON | 5.52
NdGrp_BCRK1-2_1_N003 |  | Interface | null | -1.4 | 0 |  | ON | 2.3
NdGrp_BCRK1-2_1_N004 |  | Interface | null | -0.3 | 0 |  | ON | 2.3
NdGrp_BKR111_7_N002 |  | Interface | null | -1.5 | 0 |  | OFF | 1.72
NdGrp_BKR111_7_N002 |  | Interface | null | -1.5 | 0 |  | ON | 0.63
NdGrp_BORREGO_6_N009 |  | Interface | null | -28 | 0 |  | ON | 2.77
NdGrp_BOULEVRD_7_N012 |  | Interface | null | -10.8 | 0 |  | ON | 0.88
NdGrp_BREGGEN_7_N006 |  | Interface | null | -7 | 0 |  | OFF | 0.77
NdGrp_BREGGEN_7_N006 |  | Interface | null | -7 | 0 |  | ON | 2.77
NdGrp_BSKYNPM_7_N004 |  | Interface | null | -5.4 | 0 |  | OFF | 1.46
NdGrp_CAMCHE_1_PL1X3-APND |  | Interface | null | -11.1 | 0 |  | OFF | 3.26
NdGrp_CAMERON_7_N008 |  | Interface | null | -0.9 | 0 |  | ON | 2.88
NdGrp_CENTERS_6_N008 |  | Interface | null | -2 | 0 |  | ON | 1.94
NdGrp_CENTERS_6_N010 |  | Interface | null | -1.1 | 0 |  | ON | 1
NdGrp_CHSTN_7_B1 |  | Interface | null | -27.3 | 0 |  | ON | 3.6
NdGrp_CITYUKH_1_N001 |  | Interface | null | -3.8 | 0 |  | OFF | 0.41
NdGrp_CLOVER_6_N001 |  | Interface | null | -1.1 | 0 |  | ON | 4.04
NdGrp_CLOVRDLE_7_N001 |  | Interface | null | -1.6 | 0 |  | OFF | 2.02
NdGrp_COGNTNL_7_B1 |  | Interface | null | -48.5 | 0 |  | ON | 6
NdGrp_CORRAL1_6_N002 |  | Interface | null | -4.6 | 0 |  | OFF | 0.85
NdGrp_CUYAMAGN_7_NSB1 |  | Interface | null | -3.2 | 0 |  | OFF | 1.24
NdGrp_DAGGET_7_N013 |  | Interface | null | -18.3 | 0 |  | OFF | 0.31
NdGrp_DAIRYLND_1_N013 |  | Interface | null | -0.9 | 0 |  | OFF | 0.07
NdGrp_DARYLDGN_7_N002 |  | Interface | null | -1.6 | 0 |  | OFF | 0.05
NdGrp_DAVIS_1_N029 |  | Interface | null | -1.1 | 0 |  | ON | 6.77
NdGrp_DELAMO_2_N050 |  | Interface | null | -1.5 | 0 |  | ON | 2.16
NdGrp_DELAMO_2_N051 |  | Interface | null | -1.4 | 0 |  | ON | 2.67
NdGrp_DELAMO_2_N060 |  | Interface | null | -1.6 | 0 |  | ON | 2.41
NdGrp_DELAMO_2_N061 |  | Interface | null | -1.9 | 0 |  | ON | 3.55
NdGrp_DELAMO_2_N071 |  | Interface | null | -1.4 | 0 |  | ON | 2.32
NdGrp_DELAMO_2_N072 |  | Interface | null | -1.5 | 0 |  | ON | 2.21
NdGrp_DELAMO_2_N073 |  | Interface | null | -1.1 | 0 |  | ON | 3.55
NdGrp_DELAMO_2_N074 |  | Interface | null | -2.2 | 0 |  | ON | 1.43
NdGrp_DELSURC1_7_N006 |  | Interface | null | -1.6 | 0 |  | OFF | 0.48
NdGrp_DERRICK_6_N003 |  | Interface | null | -20.5 | 0 |  | ON | 2.17
NdGrp_FRTSWRD_6_GN001 |  | Interface | null | -1.6 | 0 |  | OFF | 0.03
NdGrp_FRTSWRD_6_N004 |  | Interface | null | -1.4 | 0 |  | OFF | 1.21
NdGrp_FULTON_1_N020 |  | Interface | null | -1.1 | 0 |  | OFF | 9.18
NdGrp_GANSOGN_7_N001 |  | Interface | null | -1.1 | 0 |  | ON | 1.24
NdGrp_GOLETA_6_N068 |  | Interface | null | -2.1 | 0 |  | ON | 1.34
NdGrp_IGNACIO_1_N028 |  | Interface | null | -1.1 | 0 |  | ON | 8.74
NdGrp_ISIS_7_N002 |  | Interface | null | -21.6 | 0 |  | OFF | 0.2
NdGrp_ISIS_7_N002 |  | Interface | null | -21.6 | 0 |  | ON | 0.52
NdGrp_LIVEOAK_7_N003 |  | Interface | null | -1.4 | 0 |  | ON | 6.03
NdGrp_LOCKFORD_7_N003 |  | Interface | null | -2.7 | 0 |  | ON | 5.43
NdGrp_LOWGAP1_1_N004 |  | Interface | null | -1.1 | 0 |  | OFF | 3.39
NdGrp_LOWGAP_7_N002 |  | Interface | null | -3.8 | 0 |  | OFF | 3.39
NdGrp_MAGUNDEN_1_N005 |  | Interface | null | -1.1 | 0 |  | ON | 1.44
NdGrp_NHOGAN_6_UNITS-APND |  | Interface | null | -3.6 | 0 |  | OFF | 0.34
NdGrp_OASISC1_7_N007 |  | Interface | null | -1.6 | 0 |  | OFF | 0.48
NdGrp_OASISC1_7_N008 |  | Interface | null | -1.6 | 0 |  | OFF | 0.48
NdGrp_OASISC1_7_N010 |  | Interface | null | -1.1 | 0 |  | OFF | 0.23
NdGrp_OASISC1_7_N011 |  | Interface | null | -1.1 | 0 |  | OFF | 0.58
NdGrp_OASISC1_7_N012 |  | Interface | null | -1.6 | 0 |  | OFF | 0.48
NdGrp_OASISC1_7_N013 |  | Interface | null | -1.6 | 0 |  | OFF | 0.48
NdGrp_OILFLDS_6_N009 |  | Interface | null | -4.7 | 0 |  | OFF | 4.3
NdGrp_OLDRIVR_6_N007 |  | Interface | null | -2.2 | 0 |  | ON | 2.7
NdGrp_OLDRIVR_7_N033 |  | Interface | null | -1.1 | 0 |  | ON | 2.88
NdGrp_OLDRIVR_7_N044 |  | Interface | null | -1.1 | 0 |  | ON | 2.68
NdGrp_PEORIA_7_N003 |  | Interface | null | -1.6 | 0 |  | OFF | 0.76
NdGrp_PEORIA_7_N003 |  | Interface | null | -1.6 | 0 |  | ON | 5.07
NdGrp_PHOENIX_7_N001 |  | Interface | null | -2.2 | 0 |  | ON | 5.16
NdGrp_PLSNTGR_6_N013 |  | Interface | null | -5.4 | 0 |  | ON | 0.24
NdGrp_POD_ARBWD_6_QF-APND |  | Interface | null | -20.9 | 0 |  | OFF | 1.93
NdGrp_POD_ARBWD_6_QF-APND |  | Interface | null | -20.9 | 0 |  | ON | 0.48
NdGrp_POD_ARVINN_6_ORION1-APND |  | Interface | null | -12.9 | 0 |  | OFF | 0.36
NdGrp_POD_BRDGVL_7_BAKER-APND |  | Interface | null | -2.7 | 0 |  | OFF | 4.24
NdGrp_POD_JACMSR_1_JACSR1-APND |  | Interface | null | -21.2 | 0 |  | ON | 2.93
NdGrp_POD_MTNPOS_1_UNIT-APND |  | Interface | null | -61.4 | 0 |  | OFF | 0.98
NdGrp_POD_SEGS_1_SR2SL2-APND |  | Interface | null | -21.6 | 0 |  | ON | 2.6
NdGrp_POD_SKERN_6_SOLAR1-APND |  | Interface | null | -21.6 | 0 |  | OFF | 0.74
NdGrp_POD_WESTPT_2_UNIT-APND |  | Interface | null | -15.1 | 0 |  | ON | 5.24
NdGrp_PSQUINCY_6_GN001 |  | Interface | null | -8 | 0 |  | OFF | 5.02
NdGrp_PSQUINCY_6_GN001 |  | Interface | null | -6.5 | 0 |  | ON | 6.69
NdGrp_Q775EQ1_7_N002 |  | Interface | null | -16.2 | 0 |  | OFF | 0.44
NdGrp_RDWAY_7_N002 |  | Interface | null | -3.2 | 0 |  | OFF | 1.34
NdGrp_RDWAY_7_N002 |  | Interface | null | -3.2 | 0 |  | ON | 0.54
NdGrp_RECTOR_2_N114 |  | Interface | null | -0.9 | 0 |  | ON | 2.3
NdGrp_RECTOR_6_N007 |  | Interface | null | -2.5 | 0 |  | ON | 1.5
NdGrp_RECTOR_6_N009 |  | Interface | null | -1.6 | 0 |  | ON | 2.3
NdGrp_ROADWAY_1_N013 |  | Interface | null | -9.2 | 0 |  | ON | 0.64
NdGrp_ROADWAY_1_N019 |  | Interface | null | -0.5 | 0 |  | ON | 0.54
NdGrp_SAUGUS_6_N015 |  | Interface | null | -1.1 | 0 |  | ON | 1.44
NdGrp_SCLARA_6_N027 |  | Interface | null | -1.1 | 0 |  | ON | 0.46
NdGrp_SHUTTLE_6_N020 |  | Interface | null | -1.6 | 0 |  | OFF | 0.13
NdGrp_SHUTTLE_6_N021 |  | Interface | null | -1.6 | 0 |  | OFF | 0.13
NdGrp_SHUTTLE_6_N022 |  | Interface | null | -1.1 | 0 |  | OFF | 0.58
NdGrp_SISQUOC_1_GN001 |  | Interface | null | -1.6 | 0 |  | ON | 0.04
NdGrp_SMYRNA2_1_N009 |  | Interface | null | -1.1 | 0 |  | ON | 0.28
NdGrp_SNLSOB_1_N023 |  | Interface | null | -0.9 | 0 |  | OFF | 1.29
NdGrp_SNLSOB_1_N023 |  | Interface | null | -0.9 | 0 |  | ON | 0.51
NdGrp_SPRINGVL_6_N004 |  | Interface | null | -2.7 | 0 |  | ON | 0.08
NdGrp_SPRINGVL_6_N008 |  | Interface | null | -3.8 | 0 |  | ON | 0.98
NdGrp_SPRNGGP_7_B1 |  | Interface | null | -7.5 | 0 |  | OFF | 0.04
NdGrp_SUNSELGN_7_N002 |  | Interface | null | -4.3 | 0 |  | ON | 1.59
NdGrp_TEMPLE21_7_N002 |  | Interface | null | -1.6 | 0 |  | OFF | 1.17
NdGrp_TULLCK_7_UNITS-APND |  | Interface | null | -29.1 | 0 |  | ON | 4.13
NdGrp_TUPMAN_1_N102 |  | Interface | null | -0.6 | 0 |  | OFF | 1.5
NdGrp_VERNON_6_N005 |  | Interface | null | -5.9 | 0 |  | ON | 6.44
NdGrp_WILLIAMS_7_N001 |  | Interface | null | -3.2 | 0 |  | OFF | 0.75
RDM230_ITC |  | Interface | null | -329 | 0 |  | OFF | 3.67
RDM230_ITC |  | Interface | null | -329 | 0 |  | ON | 5.41
SILVERPK_ITC |  | Interface | null | -10.3 | 0 |  | OFF | 0.99
Conductor_1048 | LOSBNS-PCHCOP_70_BR_1_1 | Line | From-To | 2.5 | 0 |  | OFF | 132489.39
Conductor_1048 | LOSBNS-PCHCOP_70_BR_1_1 | Line | From-To | 1.1 | 0 |  | ON | 266100.27
Conductor_1747 | KTTLEM-GATES_70_BR_1_1 | Line | To-From | 28.2 | 0 |  | OFF | 2.7
Conductor_1897 | RIVBKJ-TULLCK_115_BR_1_1 | Line | To-From | 68.7 | 0 |  | OFF | 3.72
Conductor_1897 | RIVBKJ-TULLCK_115_BR_1_1 | Line | To-From | 68.7 | 0 |  | ON | 1.84
Conductor_2333 | COLGAT-RIOOSO_230_BR_1_1 | Line | From-To | 89 | 0 | PG1 BRDSLD BUS 1 230 | OFF | 3149
Conductor_2333 | COLGAT-RIOOSO_230_BR_1_1 | Line | From-To | 110.6 | 0 | PG1 CRESTA-RIOOSO 230 | ON | 17.55
Conductor_2333 | COLGAT-RIOOSO_230_BR_1_1 | Line | From-To | 110.6 | 0 | PG1 POEPH-RIOOSO 230 | ON | 145.56
Conductor_2672 | MIDWAY-CHEVCY_115_BR_1_1 | Line | From-To | 93.7 | 0 | PG1 MIDWAY-TAFT 115 | OFF | 0.31
Conductor_2716 | KNOCTI-EGLRCK_60_BR_1_1 | Line | From-To | 41.9 | 0 | PG1 UKIAH-CLOVDL 115 | ON | 24.21
Conductor_2782 | PALRMO-COLGAT_230_BR_1_1 | Line | From-To | 21.5 | 0 |  | OFF | 3174.64
Conductor_2782 | PALRMO-COLGAT_230_BR_1_1 | Line | From-To | 80.8 | 0 | PG1 BRDSLD BUS 1 230 | ON | 130.75
Conductor_2782 | PALRMO-COLGAT_230_BR_1_1 | Line | From-To | 80.8 | 0 | SD1 ECONTY 500-230 BK83 | ON | 9.62
Conductor_2782 | PALRMO-COLGAT_230_BR_1_1 | Line | From-To | 80.8 | 0 | SD1 IVALLY-DREW 230 | ON | 6.73
Conductor_2800 | MIDWAY-BELRDG_115_BR_1_1 | Line | From-To | 72.3 | 0 | PG1 SANLOB-TEMBLR 115 | OFF | 0.72
Conductor_2866 | CURTIS-SPIFBD_115_BR_1_1 | Line | To-From | 77 | 0 |  | ON | 6.27
Conductor_3016 | CNTRVL-ESQUON_60_BR_1_1 | Line | From-To | 28.2 | 0 | PG1 CNTRVL-TBLMTN-ORO 60 | OFF | 1.02
Conductor_3025 | ANTLPE-NEENCH_66_BR_1_1 | Line | To-From | 70 | 0 | SC1 BAILEY-NEENCH_1 66 | OFF | 1.39
Conductor_404 | COLGAT-NAROW1_60_BR_1_1 | Line | From-To | 16.7 | 0 | PG1 COLGAT-SMRTVL 60 2 | OFF | 4.29
Conductor_404 | COLGAT-NAROW1_60_BR_1_1 | Line | To-From | 1.3 | 0 |  | OFF | 383.81
Conductor_577 | BRNSWT-DUTCH2_115_BR_1_1 | Line | To-From | 64.7 | 0 | PG1 DRUM-RIOOSO 115 2 | OFF | 0.44
Conductor_736 | HOPLND-CLVDJT_60_BR_1_1 | Line | To-From | 22.3 | 0 | PG1 EGLRK-SLVR-FLTN 115 | OFF | 140.35
Conductor_736 | HOPLND-CLVDJT_60_BR_1_1 | Line | To-From | 22.3 | 0 | PG1 EGLRK-SLVR-FLTN 115 | ON | 83.35
Conductor_853 | NEENCH-WESPAC_66_BR_1_1 | Line | From-To | 54.3 | 0 |  | ON | 78.15
Conductor_902 | ULTPCH-PEORIA_115_BR_1_1 | Line | To-From | 93.7 | 0 | PG1 BRDSLD BUS 1 230 | OFF | 0.72
Conductor_983 | MELNSJ-VLYHOM_115_BR_1_1 | Line | From-To | 50.9 | 0 | PG1 STANIS-MANTEC 115 2 | OFF | 14.08
_07fb223e-dc52-4720-83f8-2b8a05b13076 | KRAMER-VICTOR_230_BR_2_1 | Line | From-To | 521.8 | 0 | SC1 KRAMER-VICTOR_1 230 | OFF | 3.86
_07fb223e-dc52-4720-83f8-2b8a05b13076 | KRAMER-VICTOR_230_BR_2_1 | Line | From-To | 521.8 | 0 | SC1 KRAMER-VICTOR_1 230 | ON | 10.43
_16350d46-29b6-4ba7-899f-17aebe2cea2c | SCHNDR-PAIGES_70_BR_1_1 | Line | From-To | 38 | 0 | PG1 GATES 230-70 BK5 | ON | 0.12
_49f77052-6ba3-42b8-aeab-be585bb07ff7 | ME-JF 138 | Line | From-To | 69.2 | 0 | VE1 VEAVST-PAHRUM 138 | OFF | 1.99
_5049f92a-99c9-40e1-8a4c-26650fb245b4 | TAFT-CUYAMS_70_BR_1_1 | Line | From-To | 28.2 | 0 |  | OFF | 1.45
_5049f92a-99c9-40e1-8a4c-26650fb245b4 | TAFT-CUYAMS_70_BR_1_1 | Line | From-To | 28.2 | 0 |  | ON | 1.05
_54097BFB-1E9D-41C1-A809-F1C9D9E77DD2 | FERNRD-TBLMTN_500_BR_1_1 | Line | From-To | 786.9 | 0 | PG1 TESLA-TRACY 500 | ON | 11.14
_9749335d-ac2c-497e-9f9e-2663cbd70558 | KNGBRG-FRESHW_115_BR_1_1 | Line | From-To | 62.4 | 0 | PG1 KNGBRG-WAUKNA 115 | ON | 1.66
_F4CF6182-A058-41FD-A7BB-AC4F465E512C | MESAS_LAGBEL_230_BR_2_1 | Line | From-To | 1048.9 | 0 | SC1 MESAS-LAGBEL_1 230 | ON | 11.2
_a21c67ba-a707-4366-b8ab-1f651d6bec69 | MOSSLD-LASAGI_230_BR_1_1 | Line | From-To | 228.1 | 0 | PG1 MOSSLD-LOSBNS 500 | OFF | 62.78
_a21c67ba-a707-4366-b8ab-1f651d6bec69 | MOSSLD-LASAGI_230_BR_1_1 | Line | From-To | 225.8 | 0 | PG1 MOSSLD-LOSBNS 500 | ON | 146.46
_adcf3f3a-cefd-492b-861d-b6071590628d | ARVIN_70-IL1 | Line | To-From | 26.8 | 0 | PG1 WHELRG-WEEDPC 70 | ON | 80.49
_ae6c45ec-f3fe-4202-a86a-111568e17f71 | LGRAND-ADERA_115_BR_1_1 | Line | From-To | 115.9 | 0 | PG1 MNDOTA-PNOCHE 115 | ON | 0.43
e0bc1dcf-0b2f-42ad-b0e3-467e3e8873d7 | BLYT_BLYT_1161_R | Line | To-From | 191.4 | 0 |  | ON | 63.02
Transformer_18890 | BNK-4 | Transformer | From-To | 172.6 | 0 | PG1 HENRTA-LEMOOR 70 | OFF | 0.81
Transformer_686 | BNK-3 | Transformer | To-From | 7.5 | 0 |  | OFF | 3388.14
Transformer_686 | BNK-3 | Transformer | To-From | 13.7 | 0 |  | ON | 145.51
Transformer_851 | BNK-11L | Transformer | From-To | 65.9 | 0 |  | OFF | 3.27