## auc-mn-2026-m02-binding-co
Device Name | EMS Device Name | Type | Direction | Limit | Violation | Contingency | TOU | Clearing Price
7690-CONTRL-INYOKN_EXP_NG_1 |  | Interface |  | 116.3 | 0 |  | OFF | 13305.81
8610_SylmarBNK_N-S_Import_NG_1 |  | Interface |  | 737 | 0 |  | OFF | 208.57
AMARGO_ITC |  | Interface |  | 24.5 | 0 |  | OFF | 21.16
CASCADE_ITC |  | Interface |  | 55.3 | 0 |  | OFF | 178.34
COTPISO_ITC |  | Interface |  | 612.7 | 0 |  | OFF | 98.29
Compensator_740 | LOSBNS-GATES_500_1C1_T | Line | To-From | 1525.6 | 0 |  | OFF | 232.34
Conductor_1005 | FULTON-MONROE_115_BR_2_1 | Line | From-To | 232.7 | 0 | PG1 FULTON-SNTARA 115 1 | OFF | 62.51
Conductor_1241 | BAILEY-OSO_66_BR_1_1 | Line | From-To | 98 | 0 |  | OFF | 3.31
Conductor_1566 | HILAND-CORTIN_115_BR_1_1 | Line | To-From | 143.3 | 0 | PG1 EGLRK-SLVR-FLTN 115 | OFF | 225.52
Conductor_1747 | KTTLEM-GATES_70_BR_1_1 | Line | To-From | 37.9 | 0 |  | OFF | 160.42
Conductor_1820 | BRDSLD-COCOPP_230_BR_1_1 | Line | From-To | 757.3 | 0 | PG1 BRDSLD-COCOSB 230 | OFF | 16.99
Conductor_2328 | POEPH-RCKCRK_230_BR_1_1 | Line | To-From | 79.2 | 0 | PG1 VISTRA-MOSSLD 500 | OFF | 30.96
Conductor_2333 | COLGAT-RIOOSO_230_BR_1_1 | Line | From-To | 157.7 | 0 | PG1 LAKVIL-SMUDGO 230 | OFF | 0.31
Conductor_2333 | COLGAT-RIOOSO_230_BR_1_1 | Line | From-To | 157.7 | 0 | PG1 VISTRA-MOSSLD 500 | OFF | 74.36
Conductor_24961 | DAVIS-BIOMAS_115_BR_1_1 | Line | From-To | 113.6 | 0 | PG1 RIOOSO-BRIGHT 230 | OFF | 64.46
Conductor_2528 | ELCAJN-LCOCHS_69_BR_1_1 | Line | To-From | 45 | 0 | SD1 LCOCHS-GR-MIGUEL 69 | OFF | 8024.03
Conductor_2604 | GRYSFL-ELTOWN_60_BR_2_1 | Line | To-From | 74.8 | 0 | PG1 CARBOU-TBLMTN 230 | OFF | 186.11
Conductor_2681 | PSWEET-ROBROY_115_BR_1_1 | Line | To-From | 192.2 | 0 | PG1 GRNVLY-CMPEVR 115 | OFF | 10.16
Conductor_2704 | NRTHRN-SCOTT_115_BR_1_1 | Line | From-To | 237.2 | 0 |  | OFF | 762.17
Conductor_49 | LOSBNS-PNOCHE_230_BR_2_1 | Line | To-From | 355.1 | 0 | PG1 LOSBNS 500-230 BK1 | OFF | 102.82
Conductor_749 | BELLVU-PENGRV_115_BR_1_1 | Line | To-From | 189.4 | 0 | PG1 FULTON-LAKVIL 230 | OFF | 6.1
Conductor_812 | COCOPP-WNDMAS_230_BR_1_1 | Line | From-To | 358.4 | 0 | PG1 BANKPP-TESLA 230 | OFF | 14.39
Conductor_853 | NEENCH-WESPAC_66_BR_1_1 | Line | From-To | 54.3 | 0 |  | OFF | 70.84
Conductor_902 | ULTPCH-PEORIA_115_BR_1_1 | Line | To-From | 85.4 | 0 |  | OFF | 325.26
HUMBOLDT_IMP_NG_1 |  | Interface |  | 78.4 | 0 |  | OFF | 461.47
IPPUTAH_ITC |  | Interface |  | -198 | 0 |  | OFF | -26.74
MEADTMEAD_ITC |  | Interface |  | 187.2 | 0 |  | OFF | 0.08
NdGrp_AGUCALG1_7_B1 |  | Interface |  | -312.6 | 0 |  | OFF | -12.27
NdGrp_ALLEGHNY_6_N002 |  | Interface |  | -0.6 | 0 |  | OFF | -33.2
NdGrp_ALTWD1_7_N003 |  | Interface |  | -10.6 | 0 |  | OFF | -34.19
NdGrp_AVENAL_6_GN001 |  | Interface |  | -6.5 | 0 |  | OFF | -55.59
NdGrp_AVLYSLR_7_N005 |  | Interface |  | -136.9 | 0 |  | OFF | -22.62
NdGrp_BCKSCRK_2_N004 |  | Interface |  | -1.1 | 0 |  | OFF | -236.56
NdGrp_BERCYN_7_N001 |  | Interface |  | -14 | 0 |  | OFF | -23.33
NdGrp_BLMWEST_7_N001 |  | Interface |  | -21.6 | 0 |  | OFF | -75.78
NdGrp_C643TM1_7_N001 |  | Interface |  | -183.3 | 0 |  | OFF | -9.62
NdGrp_C7-1-S1_1_N002 |  | Interface |  | -53.9 | 0 |  | OFF | -126.23
NdGrp_C7-2-S1_1_N002 |  | Interface |  | -53.9 | 0 |  | OFF | -54.8
NdGrp_CALIPSF_7_N001 |  | Interface |  | -21.6 | 0 |  | OFF | -72.21
NdGrp_CCSUB_6_N024 |  | Interface |  | -1.6 | 0 |  | OFF | -10.56
NdGrp_CLOVRDLE_7_N001 |  | Interface |  | -1.6 | 0 |  | OFF | -46.82
NdGrp_COLLINS_7_N002 |  | Interface |  | -3.6 | 0 |  | OFF | -0.66
NdGrp_CONTROLX_1_N003 |  | Interface |  | -3.2 | 0 |  | OFF | -169.68
NdGrp_DAGGET_7_N009 |  | Interface |  | -13.5 | 0 |  | OFF | -20.23
NdGrp_DAGGET_7_N011 |  | Interface |  | -16.2 | 0 |  | OFF | -25.47
NdGrp_DAGGET_7_N013 |  | Interface |  | -18.3 | 0 |  | OFF | -49.84
NdGrp_DARYLDGN_7_N002 |  | Interface |  | -1.6 | 0 |  | OFF | -26.44
NdGrp_DARYLDGN_7_N003 |  | Interface |  | -2.2 | 0 |  | OFF | -46.91
NdGrp_DAVIS_1_N030 |  | Interface |  | -1.1 | 0 |  | OFF | -6.62
NdGrp_ELKHILLS_7_N003 |  | Interface |  | -3.2 | 0 |  | OFF | -3.32
NdGrp_FRNCHMS_6_N005 |  | Interface |  | -0.5 | 0 |  | OFF | -47.82
NdGrp_FRTSWRD_6_N004 |  | Interface |  | -1.4 | 0 |  | OFF | -27.42
NdGrp_GLNARMC1_7_B1 |  | Interface |  | -33 | 0 |  | OFF | -9.31
NdGrp_GLNARMC2_7_B1 |  | Interface |  | -33 | 0 |  | OFF | -7.79
NdGrp_GROUSCRK_6_N002 |  | Interface |  | -5.4 | 0 |  | OFF | -0.48
NdGrp_HIGHWND3_7_GN001 |  | Interface |  | -41 | 0 |  | OFF | 0
NdGrp_INDIANV_7_B1 |  | Interface |  | -5.4 | 0 |  | OFF | -7.51
NdGrp_LAWRENCE_1_N006 |  | Interface |  | -1.7 | 0 |  | OFF | -61.01
NdGrp_LITTLERK_6_N019 |  | Interface |  | -2.2 | 0 |  | OFF | -80.95
NdGrp_LOCKFORD_7_N004 |  | Interface |  | -1.1 | 0 |  | OFF | -1.7
NdGrp_MCFLND_7_ND002 |  | Interface |  | -215.6 | 0 |  | OFF | -49.64
NdGrp_MESA-PGE_1_N036 |  | Interface |  | -1.1 | 0 |  | OFF | -68.67
NdGrp_MOORPARK_6_N069 |  | Interface |  | -2.2 | 0 |  | OFF | -26.96
NdGrp_MSOLAR_7_NBT1 |  | Interface |  | -10.8 | 0 |  | OFF | -96.98
NdGrp_MTZUMA2_7_B1 |  | Interface |  | -84.3 | 0 |  | OFF | -34.3
NdGrp_OASISC1_7_N012 |  | Interface |  | -1.6 | 0 |  | OFF | -27.06
NdGrp_OCOTLO_7_N002 |  | Interface |  | -53.9 | 0 |  | OFF | -89.92
NdGrp_OLDRIVR_6_N007 |  | Interface |  | -2.2 | 0 |  | OFF | -5.34
NdGrp_OLDRIVR_7_N033 |  | Interface |  | -1.1 | 0 |  | OFF | -1.1
NdGrp_PAULSWT_1_GN002 |  | Interface |  | -1.7 | 0 |  | OFF | -3.25
NdGrp_PEORIA_7_N003 |  | Interface |  | -1.6 | 0 |  | OFF | -268.15
NdGrp_POD_ADLIN_1_UNITS-APND |  | Interface |  | -24.8 | 0 |  | OFF | -78.67
NdGrp_POD_ARBWD_6_QF-APND |  | Interface |  | -20.9 | 0 |  | OFF | -30.5
NdGrp_POD_BALCHS_7_UNIT 1-APND |  | Interface |  | -36.7 | 0 |  | OFF | -7.54
NdGrp_POD_BRDGVL_7_BAKER-APND |  | Interface |  | -2.7 | 0 |  | OFF | -105.33
NdGrp_POD_BUCKCK_7_PL1X2-APND |  | Interface |  | -70.6 | 0 |  | OFF | -8.55
NdGrp_POD_CAMLOT_2_SOLAR2-APND |  | Interface |  | -16.2 | 0 |  | OFF | -15.87
NdGrp_POD_CRESTA_7_PL1X2-APND |  | Interface |  | -75.9 | 0 |  | OFF | -5.05
NdGrp_POD_DRUM_7_UNIT 5-APND |  | Interface |  | -53.9 | 0 |  | OFF | -295.61
NdGrp_POD_DSABLA_7_UNIT-APND |  | Interface |  | -19.9 | 0 |  | OFF | -81.96
NdGrp_POD_DTCHWD_2_BT3WND-APND |  | Interface |  | -4.9 | 0 |  | OFF | -212.12
NdGrp_POD_FLOWD_2_WIND1-APND |  | Interface |  | -12.8 | 0 |  | OFF | -15.87
NdGrp_POD_GLDTWN_6_COLUM3-APND |  | Interface |  | -10.8 | 0 |  | OFF | -33.46
NdGrp_POD_GLDTWN_6_SOLAR-APND |  | Interface |  | -5.4 | 0 |  | OFF | -212.12
NdGrp_POD_GLNARM_2_UNIT 5-APND |  | Interface |  | -76.5 | 0 |  | OFF | -10.87
NdGrp_POD_GYS5X6_7_UNITS-APND |  | Interface |  | -118.6 | 0 |  | OFF | -109.27
NdGrp_POD_GYS7X8_7_UNITS-APND |  | Interface |  | -118.6 | 0 |  | OFF | -123.91
NdGrp_POD_KELYRG_6_UNIT-APND |  | Interface |  | -11.9 | 0 |  | OFF | -50.41
NdGrp_POD_KERRGN_1_UNIT 1-APND |  | Interface |  | -28.4 | 0 |  | OFF | -45.51
NdGrp_POD_LMBEPK_2_UNITA1-APND |  | Interface |  | -53.8 | 0 |  | OFF | -22.63
NdGrp_POD_LMBEPK_2_UNITA2-APND |  | Interface |  | -53.8 | 0 |  | OFF | -64.98
NdGrp_POD_LMBEPK_2_UNITA3-APND |  | Interface |  | -53.8 | 0 |  | OFF | -86.49
NdGrp_POD_MIDWD_2_WIND2-APND |  | Interface |  | -3.2 | 0 |  | OFF | -212.12
NdGrp_POD_MIDWD_7_CORAMB-APND |  | Interface |  | -8.1 | 0 |  | OFF | -63.49
NdGrp_POD_NAROW1_2_UNIT-APND |  | Interface |  | -12.9 | 0 |  | OFF | -16.69
NdGrp_POD_NAROW2_2_UNIT-APND |  | Interface |  | -59.3 | 0 |  | OFF | -64.41
NdGrp_POD_NZWIND_2_WDSTR5-APND |  | Interface |  | -7 | 0 |  | OFF | -70.02
NdGrp_POD_NZWIND_6_CALWND-APND |  | Interface |  | -9.4 | 0 |  | OFF | -30.82
NdGrp_POD_NZWIND_6_WDSTR-APND |  | Interface |  | -6.7 | 0 |  | OFF | -31.5
NdGrp_POD_NZWIND_6_WDSTR2-APND |  | Interface |  | -7.4 | 0 |  | OFF | -32.95
NdGrp_POD_NZWIND_6_WDSTR3-APND |  | Interface |  | -6.5 | 0 |  | OFF | -31.5
NdGrp_POD_NZWIND_6_WDSTR4-APND |  | Interface |  | -7.3 | 0 |  | OFF | -37.04
NdGrp_POD_OAKWD_6_ZEPHWD-APND |  | Interface |  | -4.5 | 0 |  | OFF | -212.12
NdGrp_POD_PARDEB_6_UNITS-APND |  | Interface |  | -32.3 | 0 |  | OFF | -22.76
NdGrp_POD_POEPH_7_UNIT 2-APND |  | Interface |  | -73.8 | 0 |  | OFF | -4.9
NdGrp_POD_RCKCRK_7_UNIT 2-APND |  | Interface |  | -61.3 | 0 |  | OFF | -40.27
NdGrp_POD_RTREE_2_WIND2-APND |  | Interface |  | -21.3 | 0 |  | OFF | -0.23
NdGrp_POD_TBLMTN_6_QF-APND |  | Interface |  | -6.3 | 0 |  | OFF | -191.2
NdGrp_POD_WESTPT_2_UNIT-APND |  | Interface |  | -15.1 | 0 |  | OFF | -42.2
NdGrp_PSQUINCY_6_GN001 |  | Interface |  | -6.5 | 0 |  | OFF | -93.52
NdGrp_PUTCR_7_N002 |  | Interface |  | -2.2 | 0 |  | OFF | -14.1
NdGrp_Q477_7_B1 |  | Interface |  | -2.3 | 0 |  | OFF | -162.4
NdGrp_RECTOR_6_N008 |  | Interface |  | -7.1 | 0 |  | OFF | -10.33
NdGrp_SANBRN_7_ND004 |  | Interface |  | -215.6 | 0 |  | OFF | -2.88
NdGrp_SAUGUS_6_N015 |  | Interface |  | -1.1 | 0 |  | OFF | -28.43
NdGrp_SCHLNDLR_7_N003 |  | Interface |  | -16.2 | 0 |  | OFF | -2.58
NdGrp_SEVILEGN_7_N001 |  | Interface |  | -21.6 | 0 |  | OFF | -109.22
NdGrp_SHILOH3B_7_N001 |  | Interface |  | -107.8 | 0 |  | OFF | -22.72
NdGrp_SHILOH3_7_N002 |  | Interface |  | -107.8 | 0 |  | OFF | -2.38
NdGrp_SHILOH_7_B1 |  | Interface |  | -161.7 | 0 |  | OFF | -49.24
NdGrp_SPI-QUCY_7_N002 |  | Interface |  | -25.9 | 0 |  | OFF | -49.59
NdGrp_SUNSELGN_7_N002 |  | Interface |  | -4.3 | 0 |  | OFF | -313.19
NdGrp_TOADTWN_7_N002 |  | Interface |  | -1.6 | 0 |  | OFF | -156.64
NdGrp_TULLCK_7_UNITS-APND |  | Interface |  | -29.1 | 0 |  | OFF | -167.93
NdGrp_TUPMAN_1_N102 |  | Interface |  | -0.6 | 0 |  | OFF | -5.48
NdGrp_USWINDPW_7_N009 |  | Interface |  | -9.7 | 0 |  | OFF | 0
NdGrp_VILLAPK_6_N005 |  | Interface |  | -4.4 | 0 |  | OFF | -32.95
NdGrp_VISTRA3_7_N003 |  | Interface |  | -107.8 | 0 |  | OFF | -20.11
NdGrp_WALNUT_6_N011 |  | Interface |  | -1.7 | 0 |  | OFF | -21.37
NdGrp_WARNE_2_UNIT-APND |  | Interface |  | -84.3 | 0 |  | OFF | -36.65
NdGrp_WISTER_7_N001 |  | Interface |  | -21.6 | 0 |  | OFF | -71.54
OMS_19012639_Devers230Bus_NG_1 |  | Interface |  | 281.3 | 0 |  | OFF | 454.79
RDM230_ITC |  | Interface |  | 492 | 0 |  | OFF | 94.51
SILVERPK_ITC |  | Interface |  | -16.7 | 0 |  | OFF | -1291.7
Transformer_12178 | BNK-2AAH | Transformer | From-To | 1461.2 | 0 | SC1 SERRAN-VALLEY_1 500 | OFF | 694.11
Transformer_851 | BNK-11L | Transformer | From-To | 65.9 | 0 |  | OFF | 3905.19
_07fb223e-dc52-4720-83f8-2b8a05b13076 | KRAMER-VICTOR_230_BR_2_1 | Line | From-To | 537.6 | 0 | SC1 KRAMER-VICTOR_1 230 | OFF | 111.43
_1c8368f2-3e2d-4903-af27-4666d4f629da | BNK-5H | Transformer | From-To | 305.2 | 0 | SC1 JHINDS-MIRAGE_1 230 | OFF | 68.5
_66ADFA3C-081A-4A19-BF9B-9D7D283775FB | DRLKSW-GATES_230_BR_1_1 | Line | From-To | 62.7 | 0 |  | OFF | 472.51
_66ADFA3C-081A-4A19-BF9B-9D7D283775FB | DRLKSW-GATES_230_BR_1_1 | Line | From-To | 134.5 | 0 | PG1 GATES-MIDWAY 500 | OFF | 662.16
_9FDECE4D-2240-4899-866B-5482E3809401 | RNDMTN-TBLMTN_500_2C1_FA | Line | From-To | 553.5 | 0 | PG1 TESLA-LOSBNS 500 | OFF | 1771.25
_F4CF6182-A058-41FD-A7BB-AC4F465E512C | MESAS_LAGBEL_230_BR_2_1 | Line | From-To | 774.8 | 0 |  | OFF | 56.07
_a21c67ba-a707-4366-b8ab-1f651d6bec69 | MOSSLD-LASAGI_230_BR_1_1 | Line | From-To | 415.9 | 0 | PG1 MOSSLD 500-230 BK9 | OFF | 183.13
_adcf3f3a-cefd-492b-861d-b6071590628d | ARVIN_70-IL1 | Line | To-From | 22 | 0 | PG1 MIDWAY-BITWTR 230 2 | OFF | 72.89
_ae6c45ec-f3fe-4202-a86a-111568e17f71 | LGRAND-ADERA_115_BR_1_1 | Line | From-To | 177 | 0 | PG1 MNDOTA-PNOCHE 115 | OFF | 102.09
_e6a44858-409c-45ab-b792-3f06d3e2e47d | RECTOR-BGCRK3_230_BR_2_1 | Line | From-To | 262.4 | 0 |  | OFF | 2.2
e0bc1dcf-0b2f-42ad-b0e3-467e3e8873d7 | BLYT_BLYT_1161_R | Line | To-From | 192.6 | 0 |  | OFF | 44.1
7690-CONTRL-INYOKN_EXP_NG_1 |  | Interface |  | 98.1 | 0 |  | ON | 15463.23
AMARGO_ITC |  | Interface |  | 24.5 | 0 |  | ON | 88.69
BLYTHE_ITC |  | Interface |  | -213.6 | 0 |  | ON | -373.69
CASCADE_ITC |  | Interface |  | 49.3 | 0 |  | ON | 252.24
Compensator_740 | LOSBNS-GATES_500_1C1_T | Line | To-From | 1525.6 | 0 |  | ON | 4514.27
Conductor_1005 | FULTON-MONROE_115_BR_2_1 | Line | From-To | 232.7 | 0 | PG1 FULTON-SNTARA 115 1 | ON | 98.46
Conductor_1084 | ALTMID-TESLA_230_BR_1_1 | Line | To-From | 374.9 | 0 |  | ON | 450.61
Conductor_1241 | BAILEY-OSO_66_BR_1_1 | Line | From-To | 98 | 0 |  | ON | 18.85
Conductor_1747 | KTTLEM-GATES_70_BR_1_1 | Line | To-From | 37.9 | 0 |  | ON | 229.59
Conductor_1871 | MORAGA-SANLEA_115_BR_2_1 | Line | From-To | 113.2 | 0 | PG1 MORAGA-SANLEA 115 3 | ON | 4693.87
Conductor_2328 | POEPH-RCKCRK_230_BR_1_1 | Line | To-From | 39.2 | 0 | PG1 VISTRA-MOSSLD 500 | ON | 68.1
Conductor_2333 | COLGAT-RIOOSO_230_BR_1_1 | Line | From-To | 206.7 | 0 | PG1 VISTRA-MOSSLD 500 | ON | 227.73
Conductor_2528 | ELCAJN-LCOCHS_69_BR_1_1 | Line | To-From | 45 | 0 | SD1 LCOCHS-GR-MIGUEL 69 | ON | 33712.37
Conductor_2604 | GRYSFL-ELTOWN_60_BR_2_1 | Line | To-From | 74.8 | 0 | PG1 CARBOU-TBLMTN 230 | ON | 481.43
Conductor_2681 | PSWEET-ROBROY_115_BR_1_1 | Line | To-From | 192.2 | 0 | PG1 GRNVLY-CMPEVR 115 | ON | 422.08
Conductor_2704 | NRTHRN-SCOTT_115_BR_1_1 | Line | From-To | 237.2 | 0 |  | ON | 2313.77
Conductor_2859 | HERDLN-TRCYPP_69_BR_1_1 | Line | From-To | 39.2 | 0 |  | ON | 21.36
Conductor_58286 | VEAVLY-VALYSW_138_BR_1_1 | Line | To-From | 83.6 | 0 |  | ON | 142.62
Conductor_652 | BGCRK1-RECTOR_230_BR_1_1 | Line | From-To | 257.7 | 0 |  | ON | 35.09
Conductor_749 | BELLVU-PENGRV_115_BR_1_1 | Line | To-From | 189.4 | 0 | PG1 FULTON-LAKVIL 230 | ON | 70.06
Conductor_812 | COCOPP-WNDMAS_230_BR_1_1 | Line | From-To | 358.4 | 0 | PG1 BANKPP-TESLA 230 | ON | 15.52
Conductor_853 | NEENCH-WESPAC_66_BR_1_1 | Line | From-To | 54.3 | 0 |  | ON | 384
Conductor_902 | ULTPCH-PEORIA_115_BR_1_1 | Line | To-From | 85.4 | 0 |  | ON | 428.26
Conductor_924 | BLYTHE-EAGLMT_161_BR_1_1 | Line | From-To | 132.3 | 0 |  | ON | 596.65
HUMBOLDT_IMP_NG_1 |  | Interface |  | 78.4 | 0 |  | ON | 697.88
IPPUTAH_ITC |  | Interface |  | -198 | 0 |  | ON | -208.8
NdGrp_2PBLSM34_7_N001 |  | Interface |  | -10.2 | 0 |  | ON | -130.91
NdGrp_AGUCALG1_7_B1 |  | Interface |  | -312.6 | 0 |  | ON | -73.27
NdGrp_ALAMOSC_7_N001 |  | Interface |  | -19.4 | 0 |  | ON | -123.11
NdGrp_ALLEGHNY_6_N002 |  | Interface |  | -0.6 | 0 |  | ON | -453.83
NdGrp_ALTWD1_7_N003 |  | Interface |  | -10.6 | 0 |  | ON | -1007.7
NdGrp_APLHILGN_7_N002 |  | Interface |  | -2.9 | 0 |  | ON | -51.24
NdGrp_AVENAL_6_GN001 |  | Interface |  | -6.5 | 0 |  | ON | -134.74
NdGrp_BCKSCRK_2_N004 |  | Interface |  | -1.1 | 0 |  | ON | -160.56
NdGrp_BCKSCRK_7_N002 |  | Interface |  | -1.4 | 0 |  | ON | -483.43
NdGrp_BCRK1-2_1_N003 |  | Interface |  | -1.4 | 0 |  | ON | -8.77
NdGrp_BCRK1-2_1_N004 |  | Interface |  | -0.3 | 0 |  | ON | -38.77
NdGrp_BEARDSLY_7_B1 |  | Interface |  | -12.4 | 0 |  | ON | -102.27
NdGrp_BERCYN_7_N001 |  | Interface |  | -14 | 0 |  | ON | -39.01
NdGrp_BIGSKGN5_7_N001 |  | Interface |  | -5.4 | 0 |  | ON | -76.34
NdGrp_BLYTHESC_1_GN001 |  | Interface |  | -22.6 | 0 |  | ON | -951.8
NdGrp_BLYTHESC_1_N008 |  | Interface |  | -21.6 | 0 |  | ON | -248.26
NdGrp_BOULEVRD_7_N012 |  | Interface |  | -10.8 | 0 |  | ON | -322.89
NdGrp_BSKYNPM_7_N004 |  | Interface |  | -5.4 | 0 |  | ON | -67.34
NdGrp_BSKYNPM_7_N005 |  | Interface |  | -18.3 | 0 |  | ON | -371.56
NdGrp_C7-2-S1_1_N002 |  | Interface |  | -53.9 | 0 |  | ON | -194.95
NdGrp_CALIPSF_7_N001 |  | Interface |  | -21.6 | 0 |  | ON | -517.49
NdGrp_CHARMNGN_7_N001 |  | Interface |  | -21.5 | 0 |  | ON | -28.94
NdGrp_CLOVRDLE_7_N001 |  | Interface |  | -1.6 | 0 |  | ON | -386.21
NdGrp_COLNSGN_7_N001 |  | Interface |  | -80.6 | 0 |  | ON | -836.17
NdGrp_DARYLDGN_7_N003 |  | Interface |  | -2.2 | 0 |  | ON | -129.84
NdGrp_DAVIS_1_N029 |  | Interface |  | -1.1 | 0 |  | ON | -61.33
NdGrp_DELAMO_2_N050 |  | Interface |  | -1.5 | 0 |  | ON | -5408.51
NdGrp_DELSURC2_7_N003 |  | Interface |  | -3.2 | 0 |  | ON | -128.37
NdGrp_DSRTHV3_7_N003 |  | Interface |  | -37.7 | 0 |  | ON | -769.13
NdGrp_ELDORU1_7_B2 |  | Interface |  | -11.3 | 0 |  | ON | -58.94
NdGrp_ELDORU2_7_B2 |  | Interface |  | -11.3 | 0 |  | ON | -40.38
NdGrp_ELKHILLS_7_N001 |  | Interface |  | -1.6 | 0 |  | ON | -712.12
NdGrp_EXXONBH_7_N005 |  | Interface |  | -5.4 | 0 |  | ON | -49.99
NdGrp_FRNCHMS_6_N005 |  | Interface |  | -0.5 | 0 |  | ON | -178.74
NdGrp_FROGTOWN_7_N004 |  | Interface |  | -1.5 | 0 |  | ON | -76.69
NdGrp_FROGTOWN_7_N005 |  | Interface |  | -3.9 | 0 |  | ON | -90.81
NdGrp_GEN_BUS_7_N003 |  | Interface |  | -1.9 | 0 |  | ON | -54.33
NdGrp_GLNARMC1_7_B1 |  | Interface |  | -33 | 0 |  | ON | -133.61
NdGrp_GNS1_7_B1 |  | Interface |  | -8.1 | 0 |  | ON | -3.84
NdGrp_GOLETA_6_N068 |  | Interface |  | -2.1 | 0 |  | ON | -153.73
NdGrp_HIGHWND3_7_GN001 |  | Interface |  | -41 | 0 |  | ON | -264.8
NdGrp_IGNACIO_1_N028 |  | Interface |  | -1.1 | 0 |  | ON | -89.41
NdGrp_LITLRKC1_7_N003 |  | Interface |  | -5.4 | 0 |  | ON | -38.75
NdGrp_LITLRKC1_7_N004 |  | Interface |  | -2.2 | 0 |  | ON | -18.84
NdGrp_LITLRKC1_7_N005 |  | Interface |  | -3.2 | 0 |  | ON | -11.77
NdGrp_LITLRKC1_7_N007 |  | Interface |  | -3.2 | 0 |  | ON | -12.4
NdGrp_LITTLERK_6_N019 |  | Interface |  | -2.2 | 0 |  | ON | -126.59
NdGrp_LNCSTRC1_7_N002 |  | Interface |  | -6.1 | 0 |  | ON | -57.77
NdGrp_LTBERA03_7_N001 |  | Interface |  | -43.1 | 0 |  | ON | -28.04
NdGrp_MCFLND_7_ND001 |  | Interface |  | -107.8 | 0 |  | ON | -130.59
NdGrp_MCFLND_7_ND002 |  | Interface |  | -215.6 | 0 |  | ON | -13.84
NdGrp_MESA-PGE_1_N036 |  | Interface |  | -1.1 | 0 |  | ON | -252.02
NdGrp_MOORPARK_6_GN010 |  | Interface |  | -14.9 | 0 |  | ON | -3.46
NdGrp_MSOLAR_7_NBT1 |  | Interface |  | -10.8 | 0 |  | ON | -199.64
NdGrp_MSOLAR_7_NSR4 |  | Interface |  | -56.6 | 0 |  | ON | -105.3
NdGrp_OASISC1_7_N012 |  | Interface |  | -1.6 | 0 |  | ON | -9.65
NdGrp_OILFLDS_6_N009 |  | Interface |  | -4.7 | 0 |  | ON | -257.83
NdGrp_ONLLPP_6_UNITS-APND |  | Interface |  | -27.2 | 0 |  | ON | -357.16
NdGrp_PEABODY_2_N024 |  | Interface |  | -1.7 | 0 |  | ON | -85.68
NdGrp_PEORIA_7_N003 |  | Interface |  | -1.6 | 0 |  | ON | -247.07
NdGrp_PLCRVLB2_7_N002 |  | Interface |  | -3.9 | 0 |  | ON | -68.98
NdGrp_POD_ADERA_1_SOLAR1-APND |  | Interface |  | -21.6 | 0 |  | ON | -24.73
NdGrp_POD_ADLIN_1_UNITS-APND |  | Interface |  | -24.8 | 0 |  | ON | -422.87
NdGrp_POD_ARBWD_6_QF-APND |  | Interface |  | -20.9 | 0 |  | ON | -111.9
NdGrp_POD_BIGSKY_2_SOLAR1-APND |  | Interface |  | -21.6 | 0 |  | ON | -123.83
NdGrp_POD_BIGSKY_2_SOLAR3-APND |  | Interface |  | -21.6 | 0 |  | ON | -113.54
NdGrp_POD_BLM_2_UNITS-APND |  | Interface |  | -77.6 | 0 |  | ON | -16.86
NdGrp_POD_BRDGVL_7_BAKER-APND |  | Interface |  | -2.7 | 0 |  | ON | -473.35
NdGrp_POD_CAMLOT_2_SOLAR2-APND |  | Interface |  | -16.2 | 0 |  | ON | -9.4
NdGrp_POD_CAMPFW_7_FARWST-APND |  | Interface |  | -8.5 | 0 |  | ON | -120.77
NdGrp_POD_CRESTA_7_PL1X2-APND |  | Interface |  | -75.9 | 0 |  | ON | -137.07
NdGrp_POD_CUYAMS_6_CUYSR1-APND |  | Interface |  | -43.1 | 0 |  | ON | -25.51
NdGrp_POD_DTCHWD_2_BT3WND-APND |  | Interface |  | -4.9 | 0 |  | ON | -111.9
NdGrp_POD_FMEADO_7_UNIT-APND |  | Interface |  | -19.4 | 0 |  | ON | -24.25
NdGrp_POD_GEYS11_7_UNIT11-APND |  | Interface |  | -91.6 | 0 |  | ON | -236.55
NdGrp_POD_GLDTWN_6_SOLAR-APND |  | Interface |  | -5.4 | 0 |  | ON | -108.75
NdGrp_POD_GYS5X6_7_UNITS-APND |  | Interface |  | -118.6 | 0 |  | ON | -427.48
NdGrp_POD_GYS7X8_7_UNITS-APND |  | Interface |  | -118.6 | 0 |  | ON | -340.98
NdGrp_POD_HATCR2_7_UNIT-APND |  | Interface |  | -9.2 | 0 |  | ON | -38.45
NdGrp_POD_JACMSR_1_JACSR1-APND |  | Interface |  | -21.2 | 0 |  | ON | -204.24
NdGrp_POD_KNGBRD_2_SOLAR1-APND |  | Interface |  | -21.6 | 0 |  | ON | -63.56
NdGrp_POD_LMBEPK_2_UNITA1-APND |  | Interface |  | -53.8 | 0 |  | ON | -265.27
NdGrp_POD_LMBEPK_2_UNITA2-APND |  | Interface |  | -53.8 | 0 |  | ON | -180.09
NdGrp_POD_LMBEPK_2_UNITA3-APND |  | Interface |  | -53.8 | 0 |  | ON | -233.3
NdGrp_POD_MIDWD_2_WIND2-APND |  | Interface |  | -3.2 | 0 |  | ON | -111.9
NdGrp_POD_NZWIND_2_WDSTR5-APND |  | Interface |  | -7 | 0 |  | ON | -111.9
NdGrp_POD_NZWIND_6_WDSTR2-APND |  | Interface |  | -7.4 | 0 |  | ON | -109.95
NdGrp_POD_NZWIND_6_WDSTR3-APND |  | Interface |  | -6.5 | 0 |  | ON | -111.9
NdGrp_POD_NZWIND_6_WDSTR4-APND |  | Interface |  | -7.3 | 0 |  | ON | -111.9
NdGrp_POD_OAKWD_6_ZEPHWD-APND |  | Interface |  | -4.5 | 0 |  | ON | -111.9
NdGrp_POD_POEPH_7_UNIT 2-APND |  | Interface |  | -73.8 | 0 |  | ON | -67.78
NdGrp_POD_RENWD_1_QF-APND |  | Interface |  | -11.3 | 0 |  | ON | -316.87
NdGrp_POD_ROSMND_6_SOLAR-APND |  | Interface |  | -3.2 | 0 |  | ON | -580.63
NdGrp_POD_TEHAPI_2_WIND2-APND |  | Interface |  | -24.3 | 0 |  | ON | -128.59
NdGrp_PSQUINCY_6_GN001 |  | Interface |  | -6.9 | 0 |  | ON | -151.73
NdGrp_PTHLGEN_7_N002 |  | Interface |  | -8.6 | 0 |  | ON | -147.5
NdGrp_Q1045_OTAY_7_N002 |  | Interface |  | -3.2 | 0 |  | ON | -87.7
NdGrp_Q477_7_B1 |  | Interface |  | -2.3 | 0 |  | ON | -356.45
NdGrp_RDWAY_7_N002 |  | Interface |  | -3.2 | 0 |  | ON | -72.4
NdGrp_ROADWAY_1_N013 |  | Interface |  | -9.2 | 0 |  | ON | -39.28
NdGrp_ROADWAY_1_N017 |  | Interface |  | -1.6 | 0 |  | ON | -72.4
NdGrp_ROADWAY_1_N019 |  | Interface |  | -0.5 | 0 |  | ON | -209.47
NdGrp_S622B_7_N003 |  | Interface |  | -21.6 | 0 |  | ON | -18.45
NdGrp_SAUGUS_6_N008 |  | Interface |  | -9.6 | 0 |  | ON | -148.6
NdGrp_SEVILEGN_7_N001 |  | Interface |  | -21.6 | 0 |  | ON | -507.65
NdGrp_SKYRIVER_7_N007 |  | Interface |  | -32.6 | 0 |  | ON | -80.83
NdGrp_SOLBGEN_7_N001 |  | Interface |  | -5.4 | 0 |  | ON | -1817.13
NdGrp_SPI-QUCY_7_N002 |  | Interface |  | -25.9 | 0 |  | ON | -188
NdGrp_SUNSELGN_7_N002 |  | Interface |  | -4.3 | 0 |  | ON | -111.9
NdGrp_TOADTWN_7_N002 |  | Interface |  | -1.6 | 0 |  | ON | -356.45
NdGrp_TULLCK_7_UNITS-APND |  | Interface |  | -29.1 | 0 |  | ON | -99.93
NdGrp_USWINDPW_7_N009 |  | Interface |  | -9.7 | 0 |  | ON | -264.8
NdGrp_VACADIX_1_GN001 |  | Interface |  | -2.7 | 0 |  | ON | -137.4
NdGrp_VALLYHM_1_N004 |  | Interface |  | -5.4 | 0 |  | ON | -43.36
NdGrp_VESTAL_6_GN010 |  | Interface |  | -5.4 | 0 |  | ON | -6.29
NdGrp_VESTAL_6_N025 |  | Interface |  | -21.6 | 0 |  | ON | -219.65
NdGrp_VICTOR_7_GN001 |  | Interface |  | -1.6 | 0 |  | ON | -123.52
NdGrp_VICTOR_7_GN002 |  | Interface |  | -5.4 | 0 |  | ON | -123.52
NdGrp_VICTOR_7_N004 |  | Interface |  | -2.2 | 0 |  | ON | -123.52
NdGrp_VICTOR_7_N005 |  | Interface |  | -2.2 | 0 |  | ON | -123.52
NdGrp_VICTOR_7_N008 |  | Interface |  | -5.4 | 0 |  | ON | -123.52
NdGrp_VICTOR_7_N012 |  | Interface |  | -1.1 | 0 |  | ON | -123.52
NdGrp_VICTOR_7_N013 |  | Interface |  | -1.6 | 0 |  | ON | -123.52
NdGrp_VICTOR_7_N014 |  | Interface |  | -1.6 | 0 |  | ON | -123.52
NdGrp_VICTOR_7_N015 |  | Interface |  | -1.1 | 0 |  | ON | -123.52
NdGrp_VICTOR_7_N016 |  | Interface |  | -1.6 | 0 |  | ON | -123.52
NdGrp_VICTOR_7_N017 |  | Interface |  | -1.1 | 0 |  | ON | -123.52
NdGrp_VICTOR_7_N018 |  | Interface |  | -1.6 | 0 |  | ON | -123.52
NdGrp_VICTOR_7_N019 |  | Interface |  | -1.6 | 0 |  | ON | -123.52
NdGrp_VICTOR_7_N020 |  | Interface |  | -1.6 | 0 |  | ON | -123.52
NdGrp_VILLAPK_2_N028 |  | Interface |  | -5.5 | 0 |  | ON | -97.12
NdGrp_VILLAPK_6_N005 |  | Interface |  | -4.4 | 0 |  | ON | -465.98
NdGrp_VISTAGN_7_N001 |  | Interface |  | -16.2 | 0 |  | ON | -104.16
NdGrp_VISTRA3_7_N002 |  | Interface |  | -107.8 | 0 |  | ON | -59.81
NdGrp_WARNE_2_UNIT-APND |  | Interface |  | -84.3 | 0 |  | ON | -26.36
NdGrp_WHITEW_7_N001 |  | Interface |  | -193 | 0 |  | ON | -187.74
NdGrp_WISTER_7_N001 |  | Interface |  | -21.6 | 0 |  | ON | -71.3
NdGrp_WRGTSRGN_7_N001 |  | Interface |  | -215.6 | 0 |  | ON | -341.13
NdGrp_YELWPN1_7_N003 |  | Interface |  | -64.7 | 0 |  | ON | -52.46
NdGrp_YELWPN1_7_N004 |  | Interface |  | -70.1 | 0 |  | ON | -61.2
OMS_19012639_Devers230Bus_NG_1 |  | Interface |  | 357.5 | 0 |  | ON | 2775.6
PARKER_ITC |  | Interface |  | 58.8 | 0 |  | ON | 13.87
RDM230_ITC |  | Interface |  | 492 | 0 |  | ON | 106.24
SILVERPK_ITC |  | Interface |  | -16.7 | 0 |  | ON | -1639.73
Transformer_12178 | BNK-2AAH | Transformer | From-To | 1458.4 | 0 | SC1 SERRAN-VALLEY_1 500 | ON | 4757.52
Transformer_325 | BNK-13 | Transformer | To-From | 1066.6 | 0 | PG1 METCLF 500-230 BK11 | ON | 158.37
Transformer_851 | BNK-11L | Transformer | From-To | 65.9 | 0 |  | ON | 3968.73
_07fb223e-dc52-4720-83f8-2b8a05b13076 | KRAMER-VICTOR_230_BR_2_1 | Line | From-To | 537.6 | 0 | SC1 KRAMER-VICTOR_1 230 | ON | 704.2
_56EBDF8B-0809-4734-8F6F-417DB856D955 | NORORC-BITWTR_230_1 | Line | From-To | 180.4 | 0 |  | ON | 0.73
_66ADFA3C-081A-4A19-BF9B-9D7D283775FB | DRLKSW-GATES_230_BR_1_1 | Line | From-To | 163.3 | 0 | PG1 GATES-MIDWAY 500 | ON | 1582.35
_831ead6d-f897-48ab-9f5d-9662aabe12fe | CRWCSS-CRWSLD_60_BR_1_1 | Line | From-To | 51.4 | 0 | PG1 SALADO-CRWCSS 60 | ON | 47.95
_9FDECE4D-2240-4899-866B-5482E3809401 | RNDMTN-TBLMTN_500_2C1_FA | Line | From-To | 518 | 0 | PG1 TESLA-LOSBNS 500 | ON | 2456.3
_F4CF6182-A058-41FD-A7BB-AC4F465E512C | MESAS_LAGBEL_230_BR_2_1 | Line | From-To | 832.7 | 0 |  | ON | 1602.98
_a21c67ba-a707-4366-b8ab-1f651d6bec69 | MOSSLD-LASAGI_230_BR_1_1 | Line | From-To | 415.9 | 0 | PG1 MOSSLD 500-230 BK9 | ON | 987.4
_adcf3f3a-cefd-492b-861d-b6071590628d | ARVIN_70-IL1 | Line | To-From | 22 | 0 | PG1 MIDWAY-BITWTR 230 2 | ON | 71.35
_ae6c45ec-f3fe-4202-a86a-111568e17f71 | LGRAND-ADERA_115_BR_1_1 | Line | From-To | 177 | 0 | PG1 MNDOTA-PNOCHE 115 | ON | 873.8