## KEY
Average Emissions Rate Calculation
Background:
The CAISO is publishing this metric of an average emissions rate (AER) based on the discussion in the GHG working groups. CAISO discussed the metric at the November 27, 2023 GHG Coordination Working Group. A brief explanation of the methodology is included below:
Methodology:
1) Which resources are reflected in this example AER metric (all schedules are from the 5-minute market)
- All supply resources are included
- All demand response resources are excluded
- All energy storage resources are included (emissions rate used is 0 MTCO2e/MWh)
- Resources that were attributed to serve California are included
2) The AER measures all schedules ie. The total dispatach of the resources and not relative to WEIM base schedule
3) Bilateral transactions are included (emissions rate used is 0.428 MTCO2e/MWh) unless they are resource specific.
4) CAISO filled in missing heat rate and emissions rate data by using wtd averages from existing data
Key
TRADE_DT | Trade date of the reported data in MM/DD/YYYY format
TRADE_HR | Trade hour of the reported data. Data is reported as the "hour-ending", e.g. TRADE_HR = 2 is for the hour-ending 1:59:59AM Pacific time
GEN_MWH | MWh of electricity generation in the WEIM area* (including CAISO)
IMP_MWH | MWh of electricity imports into the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
EXP_MWH | MWh of electricity exports from the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
GEN_GHG | Greenhouse gas emissions in MTCO2e of electricity generation in the WEIM area
IMP_GHG | Greenhouse gas emissions in MTCO2e of electricity imports into the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
EXP_GHG | Greenhouse gas emissions in MTCO2e of electricity exports from the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
AVG_EM_RATE | Average emissions rate calculated as columns G through I divided by columns C through E
ATTR_MWH | MWh of WEIM transfers into California which, by definition, is equal to the sum of the GHG attributions
ATTR_GHG | Greenhouse gas emissions in MTCO2e of WEIM transfers into California (resource-specific)
ATTR_AVG_EM_RATE | Average emissions rate of WEIM transfers into California
CAISO PUBLIC

## AER_SUMMARY
TRADE_DT | TRADE_HR | GEN_MWH | IMP_MWH | EXP_MWH | GEN_GHG | IMP_GHG | EXP_GHG | AVG_EM_RATE | ATTR_MWH | ATTR_GHG | ATTR_AVG_EM_RATE
4/1/2025 | 1 | 67141 | 14471 | -13333 | 11423 | 6194 | -5706 | 0.174 | 396 | 20 | 0.051
4/1/2025 | 2 | 65661 | 14309 | -13079 | 11274 | 6124 | -5598 | 0.176 | 389 | 0 | 0
4/1/2025 | 3 | 65042 | 14212 | -12991 | 11461 | 6083 | -5560 | 0.181 | 404 | 4 | 0.01
4/1/2025 | 4 | 64599 | 14163 | -12927 | 11158 | 6062 | -5533 | 0.178 | 546 | 3 | 0.005
4/1/2025 | 5 | 67157 | 14373 | -13396 | 11880 | 6152 | -5734 | 0.18 | 611 | 29 | 0.047
4/1/2025 | 6 | 70953 | 14806 | -13853 | 12238 | 6337 | -5929 | 0.176 | 708 | 30 | 0.042
4/1/2025 | 7 | 76426 | 12712 | -11869 | 12984 | 5441 | -5080 | 0.173 | 1208 | 204 | 0.169
4/1/2025 | 8 | 80556 | 11387 | -11075 | 12560 | 4874 | -4740 | 0.157 | 2408 | 808 | 0.336
4/1/2025 | 9 | 78808 | 10019 | -10023 | 9176 | 4288 | -4290 | 0.116 | 107 | 14 | 0.131
4/1/2025 | 10 | 78061 | 9253 | -9994 | 7809 | 3960 | -4277 | 0.097 | 0 | 0 | 0
4/1/2025 | 11 | 75689 | 9747 | -10296 | 7665 | 4172 | -4407 | 0.099 | 0 | 0 | 0
4/1/2025 | 12 | 73524 | 10277 | -10642 | 7348 | 4399 | -4555 | 0.098 | 0 | 0 | 0
4/1/2025 | 13 | 71110 | 10077 | -10415 | 7262 | 4313 | -4457 | 0.101 | 0 | 0 | 0
4/1/2025 | 14 | 69024 | 10198 | -10040 | 7171 | 4365 | -4297 | 0.105 | 0 | 0 | 0
4/1/2025 | 15 | 68523 | 10157 | -9779 | 7282 | 4347 | -4186 | 0.108 | 0 | 0 | 0
4/1/2025 | 16 | 70098 | 10120 | -9824 | 7568 | 4332 | -4204 | 0.109 | 0 | 0 | 0
4/1/2025 | 17 | 72110 | 10470 | -10319 | 7765 | 4481 | -4417 | 0.108 | 0 | 0 | 0
4/1/2025 | 18 | 75273 | 11296 | -10666 | 9219 | 4834 | -4565 | 0.125 | 0 | 0 | 0
4/1/2025 | 19 | 77728 | 13851 | -12509 | 11720 | 5928 | -5354 | 0.155 | 31 | 0 | 0
4/1/2025 | 20 | 79930 | 14331 | -12615 | 13258 | 6134 | -5400 | 0.171 | 721 | 83 | 0.115
4/1/2025 | 21 | 79927 | 14412 | -13002 | 13259 | 6168 | -5565 | 0.17 | 796 | 72 | 0.09
4/1/2025 | 22 | 77004 | 14304 | -12969 | 12894 | 6122 | -5551 | 0.172 | 1072 | 219 | 0.204
4/1/2025 | 23 | 72690 | 15147 | -13674 | 12850 | 6483 | -5853 | 0.182 | 1241 | 325 | 0.262
4/1/2025 | 24 | 68821 | 15375 | -14005 | 12045 | 6580 | -5995 | 0.18 | 792 | 92 | 0.116
4/2/2025 | 1 | 66943 | 14296 | -12912 | 12143 | 6119 | -5526 | 0.186 | 728 | 126 | 0.173
4/2/2025 | 2 | 65114 | 14214 | -12697 | 12034 | 6084 | -5434 | 0.19 | 569 | 67 | 0.118
4/2/2025 | 3 | 64386 | 14010 | -12689 | 12112 | 5996 | -5431 | 0.193 | 1107 | 239 | 0.216
4/2/2025 | 4 | 64440 | 13954 | -12662 | 12027 | 5972 | -5419 | 0.191 | 1062 | 288 | 0.271
4/2/2025 | 5 | 66651 | 13864 | -12728 | 12422 | 5934 | -5447 | 0.19 | 943 | 238 | 0.252
4/2/2025 | 6 | 70898 | 14356 | -13014 | 12601 | 6144 | -5570 | 0.182 | 551 | 15 | 0.027
4/2/2025 | 7 | 76893 | 13852 | -12329 | 13814 | 5929 | -5277 | 0.184 | 1131 | 456 | 0.403
4/2/2025 | 8 | 80087 | 12946 | -12034 | 13814 | 5541 | -5151 | 0.175 | 1664 | 553 | 0.332
4/2/2025 | 9 | 79217 | 10620 | -10459 | 11340 | 4546 | -4477 | 0.144 | 538 | 114 | 0.212
4/2/2025 | 10 | 75695 | 10766 | -11172 | 8879 | 4608 | -4782 | 0.116 | 0 | 0 | 0
4/2/2025 | 11 | 72595 | 10821 | -11164 | 7815 | 4631 | -4778 | 0.106 | 0 | 0 | 0
4/2/2025 | 12 | 70578 | 10544 | -11207 | 7582 | 4513 | -4796 | 0.104 | 0 | 0 | 0
4/2/2025 | 13 | 69477 | 9870 | -10910 | 7660 | 4225 | -4670 | 0.105 | 0 | 0 | 0
4/2/2025 | 14 | 67885 | 10402 | -11266 | 7667 | 4452 | -4822 | 0.109 | 0 | 0 | 0
4/2/2025 | 15 | 66347 | 10805 | -11606 | 7766 | 4624 | -4967 | 0.113 | 0 | 0 | 0
4/2/2025 | 16 | 67971 | 10916 | -11996 | 8022 | 4672 | -5134 | 0.113 | 0 | 0 | 0
4/2/2025 | 17 | 70136 | 11279 | -12308 | 8560 | 4828 | -5268 | 0.117 | 0 | 0 | 0
4/2/2025 | 18 | 74301 | 12521 | -13208 | 9924 | 5359 | -5653 | 0.131 | 0 | 0 | 0
4/2/2025 | 19 | 77290 | 13928 | -13968 | 12244 | 5961 | -5978 | 0.158 | 410 | 0 | 0
4/2/2025 | 20 | 79958 | 13716 | -13357 | 13438 | 5871 | -5717 | 0.169 | 438 | 0 | 0
4/2/2025 | 21 | 80063 | 13649 | -13152 | 13841 | 5842 | -5630 | 0.174 | 389 | 0 | 0
4/2/2025 | 22 | 76866 | 13275 | -12405 | 14100 | 5682 | -5309 | 0.186 | 438 | 0 | 0
4/2/2025 | 23 | 72841 | 13464 | -12655 | 13538 | 5763 | -5417 | 0.189 | 261 | 0 | 0
4/2/2025 | 24 | 68680 | 13646 | -12304 | 13224 | 5840 | -5266 | 0.197 | 219 | 0 | 0
4/3/2025 | 1 | 66859 | 14232 | -12582 | 14274 | 6092 | -5385 | 0.219 | 262 | 3 | 0.011
4/3/2025 | 2 | 65850 | 13868 | -12589 | 19882 | 5936 | -5388 | 0.304 | 306 | 3 | 0.01
4/3/2025 | 3 | 65205 | 13697 | -12558 | 16904 | 5862 | -5375 | 0.262 | 363 | 10 | 0.028
4/3/2025 | 4 | 65444 | 13356 | -12453 | 14732 | 5716 | -5330 | 0.228 | 514 | 11 | 0.021
4/3/2025 | 5 | 67430 | 13605 | -12646 | 15454 | 5823 | -5413 | 0.232 | 431 | 74 | 0.172
4/3/2025 | 6 | 72415 | 14194 | -13108 | 16093 | 6075 | -5610 | 0.225 | 357 | 43 | 0.12
4/3/2025 | 7 | 78028 | 13372 | -11938 | 16831 | 5723 | -5110 | 0.22 | 660 | 117 | 0.177
4/3/2025 | 8 | 80216 | 12455 | -11534 | 14884 | 5331 | -4936 | 0.188 | 300 | 43 | 0.143
4/3/2025 | 9 | 77848 | 11112 | -10637 | 11350 | 4756 | -4553 | 0.148 | 0 | 0 | 0
4/3/2025 | 10 | 73622 | 11243 | -10958 | 10602 | 4812 | -4690 | 0.145 | 0 | 0 | 0
4/3/2025 | 11 | 69789 | 11386 | -10907 | 9354 | 4873 | -4668 | 0.136 | 0 | 0 | 0
4/3/2025 | 12 | 67548 | 11473 | -11033 | 9246 | 4910 | -4722 | 0.139 | 0 | 0 | 0
4/3/2025 | 13 | 65897 | 11781 | -11343 | 9119 | 5042 | -4855 | 0.14 | 0 | 0 | 0
4/3/2025 | 14 | 65008 | 11738 | -11360 | 9169 | 5024 | -4862 | 0.143 | 0 | 0 | 0
4/3/2025 | 15 | 65402 | 11686 | -11423 | 9306 | 5002 | -4888 | 0.143 | 0 | 0 | 0
4/3/2025 | 16 | 65722 | 11858 | -11525 | 9584 | 5075 | -4933 | 0.147 | 0 | 0 | 0
4/3/2025 | 17 | 69098 | 11648 | -11302 | 10190 | 4985 | -4837 | 0.149 | 0 | 0 | 0
4/3/2025 | 18 | 73546 | 11653 | -11058 | 11401 | 4988 | -4733 | 0.157 | 0 | 0 | 0
4/3/2025 | 19 | 75412 | 14244 | -13260 | 13624 | 6096 | -5676 | 0.184 | 89 | 0 | 0
4/3/2025 | 20 | 78626 | 13853 | -12863 | 15298 | 5929 | -5505 | 0.197 | 434 | 16 | 0.037
4/3/2025 | 21 | 78799 | 13668 | -12600 | 15486 | 5850 | -5393 | 0.2 | 733 | 126 | 0.172
4/3/2025 | 22 | 76148 | 13931 | -12457 | 15743 | 5962 | -5332 | 0.211 | 1047 | 378 | 0.361
4/3/2025 | 23 | 72504 | 13760 | -12087 | 15958 | 5889 | -5174 | 0.225 | 590 | 275 | 0.466
4/3/2025 | 24 | 68833 | 13202 | -11236 | 16067 | 5650 | -4809 | 0.239 | 752 | 326 | 0.434
4/4/2025 | 1 | 67000 | 13261 | -11776 | 16035 | 5676 | -5040 | 0.243 | 1091 | 200 | 0.183
4/4/2025 | 2 | 65509 | 13115 | -11590 | 15644 | 5613 | -4960 | 0.243 | 930 | 192 | 0.206
4/4/2025 | 3 | 64890 | 13224 | -11727 | 15451 | 5660 | -5020 | 0.242 | 1137 | 150 | 0.132
4/4/2025 | 4 | 65694 | 13389 | -12326 | 15832 | 5730 | -5276 | 0.244 | 966 | 126 | 0.13
4/4/2025 | 5 | 67822 | 12772 | -11907 | 16276 | 5466 | -5096 | 0.242 | 1038 | 146 | 0.141
4/4/2025 | 6 | 72396 | 13280 | -12515 | 16280 | 5684 | -5356 | 0.227 | 294 | 1 | 0.003
4/4/2025 | 7 | 77853 | 14031 | -13245 | 16860 | 6005 | -5669 | 0.219 | 577 | 25 | 0.043
4/4/2025 | 8 | 80098 | 13351 | -12767 | 14874 | 5714 | -5464 | 0.187 | 433 | 79 | 0.182
4/4/2025 | 9 | 78154 | 11293 | -11338 | 11836 | 4833 | -4852 | 0.151 | 0 | 0 | 0
4/4/2025 | 10 | 74569 | 11712 | -12357 | 10404 | 5013 | -5289 | 0.137 | 0 | 0 | 0
4/4/2025 | 11 | 70496 | 11631 | -12428 | 9663 | 4978 | -5319 | 0.134 | 0 | 0 | 0
4/4/2025 | 12 | 67547 | 11662 | -12309 | 9138 | 4992 | -5268 | 0.132 | 0 | 0 | 0
4/4/2025 | 13 | 65406 | 11538 | -12015 | 8778 | 4938 | -5142 | 0.132 | 0 | 0 | 0
4/4/2025 | 14 | 64852 | 11557 | -12140 | 8370 | 4946 | -5196 | 0.126 | 0 | 0 | 0
4/4/2025 | 15 | 64143 | 12040 | -12135 | 8496 | 5153 | -5194 | 0.132 | 0 | 0 | 0
4/4/2025 | 16 | 65144 | 12402 | -12453 | 8403 | 5308 | -5330 | 0.129 | 0 | 0 | 0
4/4/2025 | 17 | 66942 | 12612 | -12640 | 8690 | 5398 | -5410 | 0.13 | 0 | 0 | 0
4/4/2025 | 18 | 70715 | 12243 | -12142 | 9751 | 5240 | -5197 | 0.138 | 0 | 0 | 0
4/4/2025 | 19 | 72548 | 14997 | -13727 | 12427 | 6419 | -5875 | 0.176 | 30 | 0 | 0
4/4/2025 | 20 | 75348 | 14712 | -13588 | 14385 | 6297 | -5816 | 0.194 | 346 | 0 | 0
4/4/2025 | 21 | 75173 | 14795 | -13712 | 14598 | 6333 | -5869 | 0.198 | 791 | 22 | 0.028
4/4/2025 | 22 | 72900 | 14942 | -13631 | 14669 | 6395 | -5834 | 0.205 | 563 | 7 | 0.012
4/4/2025 | 23 | 69352 | 14491 | -13074 | 14680 | 6202 | -5596 | 0.216 | 243 | 9 | 0.037
4/4/2025 | 24 | 65722 | 14374 | -12722 | 14314 | 6152 | -5445 | 0.223 | 460 | 66 | 0.143
4/5/2025 | 1 | 63804 | 13811 | -11906 | 14443 | 5911 | -5096 | 0.232 | 54 | 0 | 0
4/5/2025 | 2 | 62443 | 14154 | -12126 | 14528 | 6058 | -5190 | 0.239 | 80 | 0 | 0
4/5/2025 | 3 | 62064 | 14276 | -12198 | 14582 | 6110 | -5221 | 0.241 | 291 | 2 | 0.007
4/5/2025 | 4 | 62168 | 14256 | -12302 | 14706 | 6102 | -5265 | 0.242 | 138 | 3 | 0.022
4/5/2025 | 5 | 63216 | 14317 | -12564 | 14693 | 6128 | -5377 | 0.238 | 0 | 0 | 0
4/5/2025 | 6 | 65716 | 13798 | -12415 | 14769 | 5906 | -5313 | 0.229 | 7 | 0 | 0
4/5/2025 | 7 | 68791 | 14298 | -12941 | 14706 | 6120 | -5539 | 0.218 | 559 | 36 | 0.064
4/5/2025 | 8 | 70190 | 12732 | -11952 | 12384 | 5449 | -5116 | 0.179 | 57 | 0 | 0
4/5/2025 | 9 | 69980 | 11882 | -12106 | 9286 | 5086 | -5181 | 0.132 | 0 | 0 | 0
4/5/2025 | 10 | 66886 | 12601 | -13050 | 8362 | 5393 | -5586 | 0.123 | 0 | 0 | 0
4/5/2025 | 11 | 63404 | 12702 | -13493 | 7827 | 5436 | -5775 | 0.12 | 0 | 0 | 0
4/5/2025 | 12 | 60935 | 12855 | -13809 | 7736 | 5502 | -5910 | 0.122 | 0 | 0 | 0
4/5/2025 | 13 | 58923 | 13093 | -14265 | 7788 | 5604 | -6106 | 0.126 | 0 | 0 | 0
4/5/2025 | 14 | 57396 | 13359 | -14256 | 7995 | 5718 | -6102 | 0.135 | 176 | 0 | 0
4/5/2025 | 15 | 57772 | 13492 | -14195 | 8176 | 5774 | -6075 | 0.138 | 366 | 7 | 0.019
4/5/2025 | 16 | 60025 | 13515 | -14200 | 8237 | 5784 | -6078 | 0.134 | 109 | 0 | 0
4/5/2025 | 17 | 63332 | 13062 | -13368 | 8711 | 5591 | -5722 | 0.136 | 75 | 0 | 0
4/5/2025 | 18 | 68680 | 12896 | -12994 | 10144 | 5520 | -5562 | 0.147 | 0 | 0 | 0
4/5/2025 | 19 | 71532 | 14545 | -14210 | 13253 | 6225 | -6082 | 0.186 | 2 | 0 | 0
4/5/2025 | 20 | 72949 | 15176 | -14553 | 14509 | 6495 | -6228 | 0.201 | 47 | 0 | 0
4/5/2025 | 21 | 72540 | 15498 | -14678 | 14646 | 6634 | -6282 | 0.204 | 336 | 2 | 0.006
4/5/2025 | 22 | 70147 | 15344 | -14195 | 14508 | 6567 | -6076 | 0.21 | 727 | 6 | 0.008
4/5/2025 | 23 | 66825 | 14537 | -13177 | 14657 | 6222 | -5640 | 0.223 | 283 | 16 | 0.057
4/5/2025 | 24 | 63513 | 14260 | -12724 | 14295 | 6103 | -5446 | 0.23 | 757 | 49 | 0.065
4/6/2025 | 1 | 61596 | 13770 | -12011 | 14265 | 5894 | -5141 | 0.237 | 851 | 198 | 0.233
4/6/2025 | 2 | 59902 | 13650 | -11977 | 14157 | 5842 | -5127 | 0.242 | 609 | 129 | 0.212
4/6/2025 | 3 | 58351 | 13640 | -12100 | 13603 | 5838 | -5179 | 0.238 | 412 | 6 | 0.015
4/6/2025 | 4 | 58307 | 13486 | -12014 | 13319 | 5772 | -5142 | 0.233 | 373 | 0 | 0
4/6/2025 | 5 | 59298 | 13907 | -12478 | 13942 | 5952 | -5341 | 0.24 | 462 | 46 | 0.1
4/6/2025 | 6 | 60603 | 14072 | -12593 | 13910 | 6023 | -5390 | 0.234 | 345 | 0 | 0
4/6/2025 | 7 | 62977 | 13615 | -12333 | 13548 | 5827 | -5279 | 0.219 | 335 | 42 | 0.125
4/6/2025 | 8 | 65302 | 11061 | -10628 | 10702 | 4734 | -4549 | 0.166 | 260 | 56 | 0.215
4/6/2025 | 9 | 66001 | 8810 | -9493 | 7985 | 3771 | -4063 | 0.118 | 0 | 0 | 0
4/6/2025 | 10 | 64348 | 8989 | -9970 | 7246 | 3847 | -4267 | 0.108 | 0 | 0 | 0
4/6/2025 | 11 | 62430 | 9385 | -10545 | 7297 | 4017 | -4513 | 0.111 | 0 | 0 | 0
4/6/2025 | 12 | 61023 | 9516 | -10673 | 7320 | 4073 | -4568 | 0.114 | 7 | 0 | 0
4/6/2025 | 13 | 60122 | 9556 | -10682 | 7377 | 4090 | -4572 | 0.117 | 115 | 2 | 0.017
4/6/2025 | 14 | 59886 | 10045 | -10968 | 7372 | 4299 | -4694 | 0.118 | 44 | 0 | 0
4/6/2025 | 15 | 61253 | 10024 | -10982 | 7491 | 4290 | -4700 | 0.117 | 128 | 0 | 0
4/6/2025 | 16 | 63585 | 9988 | -11015 | 7702 | 4275 | -4714 | 0.116 | 8 | 0 | 0
4/6/2025 | 17 | 67843 | 9653 | -10794 | 8288 | 4132 | -4620 | 0.117 | 140 | 0 | 0
4/6/2025 | 18 | 73417 | 9196 | -9848 | 10201 | 3936 | -4215 | 0.136 | 0 | 0 | 0
4/6/2025 | 19 | 75558 | 12491 | -11750 | 13115 | 5346 | -5029 | 0.176 | 0 | 0 | 0
4/6/2025 | 20 | 76225 | 13707 | -12458 | 14358 | 5866 | -5332 | 0.192 | 0 | 0 | 0
4/6/2025 | 21 | 75382 | 14138 | -12440 | 14616 | 6051 | -5324 | 0.199 | 51 | 0 | 0
4/6/2025 | 22 | 72051 | 14322 | -12494 | 14535 | 6129 | -5348 | 0.207 | 169 | 0 | 0
4/6/2025 | 23 | 66913 | 14364 | -12082 | 14028 | 6148 | -5171 | 0.217 | 406 | 49 | 0.121
4/6/2025 | 24 | 62413 | 14208 | -11428 | 13476 | 6081 | -4891 | 0.225 | 309 | 33 | 0.107
4/7/2025 | 1 | 60721 | 14513 | -12022 | 13518 | 6212 | -5146 | 0.231 | 478 | 4 | 0.008
4/7/2025 | 2 | 58810 | 14364 | -11800 | 13077 | 6148 | -5050 | 0.231 | 341 | 4 | 0.012
4/7/2025 | 3 | 57867 | 14882 | -12155 | 13103 | 6369 | -5202 | 0.236 | 310 | 0 | 0
4/7/2025 | 4 | 58537 | 14566 | -12264 | 13401 | 6234 | -5249 | 0.236 | 465 | 1 | 0.002
4/7/2025 | 5 | 61065 | 14224 | -12500 | 13805 | 6088 | -5350 | 0.232 | 570 | 9 | 0.016
4/7/2025 | 6 | 65919 | 15088 | -13677 | 13977 | 6458 | -5854 | 0.217 | 618 | 60 | 0.097
4/7/2025 | 7 | 71651 | 15125 | -13924 | 13841 | 6473 | -5959 | 0.197 | 1192 | 290 | 0.243
4/7/2025 | 8 | 75194 | 13421 | -12908 | 11376 | 5744 | -5525 | 0.153 | 1186 | 265 | 0.223
4/7/2025 | 9 | 73720 | 11280 | -10876 | 8750 | 4828 | -4655 | 0.12 | 0 | 0 | 0
4/7/2025 | 10 | 72349 | 11689 | -11501 | 7824 | 5003 | -4923 | 0.109 | 0 | 0 | 0
4/7/2025 | 11 | 69609 | 12418 | -12040 | 7339 | 5315 | -5154 | 0.107 | 0 | 0 | 0
4/7/2025 | 12 | 67949 | 11815 | -11497 | 7276 | 5057 | -4921 | 0.109 | 0 | 0 | 0
4/7/2025 | 13 | 67743 | 12131 | -11927 | 7370 | 5192 | -5105 | 0.11 | 0 | 0 | 0
4/7/2025 | 14 | 67250 | 12573 | -12084 | 7440 | 5381 | -5172 | 0.113 | 0 | 0 | 0
4/7/2025 | 15 | 68134 | 12881 | -12376 | 7562 | 5513 | -5297 | 0.113 | 0 | 0 | 0
4/7/2025 | 16 | 69345 | 13447 | -12633 | 7894 | 5755 | -5406 | 0.117 | 0 | 0 | 0
4/7/2025 | 17 | 73136 | 13683 | -13088 | 8519 | 5856 | -5602 | 0.119 | 0 | 0 | 0
4/7/2025 | 18 | 77454 | 13613 | -12523 | 9958 | 5826 | -5360 | 0.133 | 0 | 0 | 0
4/7/2025 | 19 | 79240 | 16975 | -15086 | 12448 | 7265 | -6457 | 0.163 | 0 | 0 | 0
4/7/2025 | 20 | 80450 | 17554 | -15782 | 13305 | 7513 | -6755 | 0.171 | 141 | 0 | 0
4/7/2025 | 21 | 79114 | 17208 | -15240 | 13452 | 7365 | -6522 | 0.176 | 353 | 0 | 0
4/7/2025 | 22 | 75671 | 17168 | -14994 | 13373 | 7348 | -6418 | 0.184 | 816 | 74 | 0.091
4/7/2025 | 23 | 71037 | 17573 | -15381 | 12708 | 7521 | -6583 | 0.186 | 770 | 186 | 0.242
4/7/2025 | 24 | 67116 | 16489 | -14563 | 11894 | 7058 | -6233 | 0.184 | 971 | 220 | 0.227
4/8/2025 | 1 | 64060 | 14377 | -12532 | 11654 | 6153 | -5364 | 0.189 | 506 | 78 | 0.154
4/8/2025 | 2 | 62341 | 14479 | -12610 | 11541 | 6197 | -5397 | 0.192 | 433 | 57 | 0.132
4/8/2025 | 3 | 61347 | 14166 | -12562 | 11567 | 6063 | -5377 | 0.195 | 475 | 5 | 0.011
4/8/2025 | 4 | 61352 | 13848 | -12420 | 11626 | 5927 | -5316 | 0.195 | 412 | 13 | 0.032
4/8/2025 | 5 | 63134 | 13818 | -12504 | 12244 | 5914 | -5352 | 0.199 | 294 | 0 | 0
4/8/2025 | 6 | 67298 | 14231 | -12692 | 13467 | 6091 | -5432 | 0.205 | 449 | 1 | 0.002
4/8/2025 | 7 | 73247 | 14566 | -13587 | 13666 | 6234 | -5815 | 0.19 | 414 | 4 | 0.01
4/8/2025 | 8 | 75854 | 13193 | -12367 | 11826 | 5646 | -5293 | 0.159 | 118 | 0 | 0
4/8/2025 | 9 | 74387 | 12194 | -11462 | 9075 | 5219 | -4906 | 0.125 | 0 | 0 | 0
4/8/2025 | 10 | 71923 | 12281 | -11796 | 8640 | 5256 | -5049 | 0.122 | 0 | 0 | 0
4/8/2025 | 11 | 70218 | 12074 | -11751 | 8563 | 5168 | -5029 | 0.123 | 0 | 0 | 0
4/8/2025 | 12 | 68931 | 12181 | -12164 | 8354 | 5213 | -5206 | 0.121 | 0 | 0 | 0
4/8/2025 | 13 | 68044 | 12377 | -12450 | 8206 | 5297 | -5328 | 0.12 | 0 | 0 | 0
4/8/2025 | 14 | 67393 | 12856 | -12607 | 8688 | 5502 | -5396 | 0.13 | 0 | 0 | 0
4/8/2025 | 15 | 67728 | 13158 | -12885 | 8112 | 5632 | -5515 | 0.121 | 0 | 0 | 0
4/8/2025 | 16 | 70004 | 13163 | -13142 | 8380 | 5634 | -5625 | 0.12 | 0 | 0 | 0
4/8/2025 | 17 | 72972 | 13638 | -13238 | 8989 | 5837 | -5666 | 0.125 | 0 | 0 | 0
4/8/2025 | 18 | 77487 | 14220 | -13016 | 9635 | 6086 | -5571 | 0.129 | 0 | 0 | 0
4/8/2025 | 19 | 80950 | 16817 | -15275 | 11818 | 7198 | -6538 | 0.151 | 514 | 66 | 0.128
4/8/2025 | 20 | 82242 | 17316 | -15921 | 12920 | 7411 | -6814 | 0.162 | 749 | 19 | 0.025
4/8/2025 | 21 | 80938 | 16860 | -15073 | 13247 | 7216 | -6451 | 0.169 | 512 | 0 | 0
4/8/2025 | 22 | 77528 | 16684 | -14857 | 12856 | 7141 | -6359 | 0.172 | 622 | 0 | 0
4/8/2025 | 23 | 72833 | 14945 | -13324 | 12361 | 6397 | -5703 | 0.175 | 411 | 0 | 0
4/8/2025 | 24 | 68668 | 14260 | -12614 | 12306 | 6103 | -5399 | 0.185 | 570 | 0 | 0
4/9/2025 | 1 | 65095 | 14901 | -12626 | 12252 | 6378 | -5404 | 0.196 | 430 | 1 | 0.002
4/9/2025 | 2 | 63353 | 14394 | -12228 | 12509 | 6160 | -5234 | 0.205 | 243 | 0 | 0
4/9/2025 | 3 | 61950 | 14262 | -12153 | 12279 | 6104 | -5201 | 0.206 | 191 | 0 | 0
4/9/2025 | 4 | 61990 | 14236 | -12189 | 11720 | 6093 | -5217 | 0.197 | 293 | 0 | 0
4/9/2025 | 5 | 63774 | 14175 | -12198 | 11982 | 6067 | -5221 | 0.195 | 365 | 21 | 0.058
4/9/2025 | 6 | 68277 | 14652 | -12620 | 12514 | 6271 | -5401 | 0.19 | 409 | 40 | 0.098
4/9/2025 | 7 | 73108 | 14223 | -12106 | 12732 | 6088 | -5181 | 0.181 | 482 | 26 | 0.054
4/9/2025 | 8 | 75378 | 12839 | -11286 | 11229 | 5495 | -4830 | 0.155 | 519 | 115 | 0.222
4/9/2025 | 9 | 73680 | 11391 | -10225 | 9178 | 4876 | -4376 | 0.129 | 0 | 0 | 0
4/9/2025 | 10 | 70417 | 11399 | -10084 | 8297 | 4879 | -4316 | 0.124 | 0 | 0 | 0
4/9/2025 | 11 | 68780 | 11290 | -9963 | 8169 | 4832 | -4264 | 0.125 | 0 | 0 | 0
4/9/2025 | 12 | 68361 | 11529 | -10538 | 8073 | 4934 | -4510 | 0.123 | 0 | 0 | 0
4/9/2025 | 13 | 68402 | 11416 | -10836 | 8029 | 4886 | -4638 | 0.12 | 0 | 0 | 0
4/9/2025 | 14 | 68640 | 11112 | -10287 | 8074 | 4756 | -4403 | 0.121 | 0 | 0 | 0
4/9/2025 | 15 | 70139 | 10925 | -10159 | 8158 | 4676 | -4348 | 0.12 | 0 | 0 | 0
4/9/2025 | 16 | 72393 | 11218 | -10323 | 8639 | 4801 | -4418 | 0.123 | 0 | 0 | 0
4/9/2025 | 17 | 75609 | 12193 | -11083 | 9630 | 5219 | -4744 | 0.132 | 0 | 0 | 0
4/9/2025 | 18 | 79680 | 13116 | -11610 | 11097 | 5614 | -4969 | 0.145 | 0 | 0 | 0
4/9/2025 | 19 | 82293 | 15637 | -13456 | 14252 | 6692 | -5759 | 0.18 | 688 | 26 | 0.038
4/9/2025 | 20 | 83207 | 15814 | -13958 | 15851 | 6768 | -5974 | 0.196 | 1159 | 181 | 0.156
4/9/2025 | 21 | 81578 | 15088 | -13274 | 15907 | 6457 | -5681 | 0.2 | 1155 | 160 | 0.139
4/9/2025 | 22 | 78185 | 14230 | -12305 | 15860 | 6090 | -5267 | 0.208 | 1278 | 194 | 0.152
4/9/2025 | 23 | 73441 | 14040 | -12109 | 15888 | 6009 | -5183 | 0.222 | 1210 | 202 | 0.167
4/9/2025 | 24 | 68209 | 13581 | -11384 | 15395 | 5812 | -4872 | 0.232 | 1539 | 353 | 0.229
4/10/2025 | 1 | 64490 | 13813 | -11138 | 14668 | 5912 | -4767 | 0.235 | 639 | 95 | 0.149
4/10/2025 | 2 | 62336 | 13555 | -10818 | 14664 | 5802 | -4630 | 0.243 | 775 | 85 | 0.11
4/10/2025 | 3 | 60620 | 13900 | -11086 | 14735 | 5949 | -4745 | 0.251 | 791 | 120 | 0.152
4/10/2025 | 4 | 60213 | 13503 | -10878 | 14747 | 5779 | -4656 | 0.253 | 563 | 80 | 0.142
4/10/2025 | 5 | 61940 | 13448 | -11059 | 15099 | 5756 | -4734 | 0.251 | 658 | 77 | 0.117
4/10/2025 | 6 | 65804 | 14109 | -11532 | 15608 | 6038 | -4935 | 0.244 | 511 | 56 | 0.11
4/10/2025 | 7 | 70339 | 14902 | -12458 | 15515 | 6378 | -5332 | 0.228 | 747 | 88 | 0.118
4/10/2025 | 8 | 73605 | 13006 | -11700 | 13245 | 5566 | -5008 | 0.184 | 635 | 40 | 0.063
4/10/2025 | 9 | 73121 | 11903 | -11086 | 10320 | 5094 | -4745 | 0.144 | 0 | 0 | 0
4/10/2025 | 10 | 71380 | 12401 | -11599 | 9544 | 5308 | -4964 | 0.137 | 0 | 0 | 0
4/10/2025 | 11 | 69661 | 12426 | -11508 | 8515 | 5319 | -4925 | 0.126 | 0 | 0 | 0
4/10/2025 | 12 | 69531 | 12370 | -11406 | 8644 | 5295 | -4882 | 0.128 | 52 | 0 | 0
4/10/2025 | 13 | 70141 | 12629 | -11668 | 9287 | 5405 | -4994 | 0.136 | 0 | 0 | 0
4/10/2025 | 14 | 72007 | 12395 | -11411 | 9406 | 5305 | -4883 | 0.135 | 0 | 0 | 0
4/10/2025 | 15 | 74505 | 12472 | -11316 | 10337 | 5338 | -4843 | 0.143 | 244 | 0 | 0
4/10/2025 | 16 | 77444 | 13268 | -11954 | 11617 | 5679 | -5117 | 0.155 | 1055 | 3 | 0.003
4/10/2025 | 17 | 80228 | 13960 | -12089 | 12783 | 5975 | -5174 | 0.165 | 825 | 0 | 0
4/10/2025 | 18 | 83499 | 16487 | -14493 | 14188 | 7056 | -6203 | 0.176 | 1194 | 284 | 0.238
4/10/2025 | 19 | 84654 | 19067 | -16925 | 16021 | 8161 | -7244 | 0.195 | 1026 | 142 | 0.138
4/10/2025 | 20 | 84579 | 19452 | -17483 | 16915 | 8326 | -7483 | 0.205 | 1617 | 218 | 0.135
4/10/2025 | 21 | 82671 | 18715 | -16463 | 15995 | 8010 | -7046 | 0.2 | 1594 | 240 | 0.151
4/10/2025 | 22 | 78450 | 18613 | -16010 | 14970 | 7966 | -6852 | 0.198 | 1348 | 222 | 0.165
4/10/2025 | 23 | 72427 | 17153 | -14065 | 14396 | 7342 | -6020 | 0.208 | 865 | 173 | 0.2
4/10/2025 | 24 | 67597 | 16247 | -13086 | 13888 | 6954 | -5601 | 0.215 | 940 | 173 | 0.184
4/11/2025 | 1 | 64836 | 15567 | -12447 | 12853 | 6663 | -5327 | 0.209 | 759 | 126 | 0.166
4/11/2025 | 2 | 62379 | 15760 | -12632 | 12478 | 6745 | -5407 | 0.211 | 648 | 71 | 0.11
4/11/2025 | 3 | 60717 | 15562 | -12434 | 12291 | 6660 | -5322 | 0.213 | 592 | 42 | 0.071
4/11/2025 | 4 | 60032 | 15735 | -12471 | 12287 | 6734 | -5338 | 0.216 | 645 | 86 | 0.133
4/11/2025 | 5 | 61383 | 15644 | -12421 | 12506 | 6696 | -5316 | 0.215 | 530 | 17 | 0.032
4/11/2025 | 6 | 65232 | 16031 | -12678 | 13256 | 6861 | -5426 | 0.214 | 895 | 123 | 0.137
4/11/2025 | 7 | 69547 | 16233 | -13019 | 13355 | 6948 | -5572 | 0.202 | 1640 | 450 | 0.274
4/11/2025 | 8 | 72260 | 14768 | -12288 | 11493 | 6321 | -5259 | 0.168 | 1520 | 419 | 0.276
4/11/2025 | 9 | 72860 | 13019 | -11016 | 9934 | 5572 | -4715 | 0.144 | 259 | 16 | 0.062
4/11/2025 | 10 | 72347 | 13267 | -11505 | 9022 | 5678 | -4924 | 0.132 | 0 | 0 | 0
4/11/2025 | 11 | 71346 | 13307 | -11812 | 8766 | 5695 | -5056 | 0.129 | 1 | 0 | 0
4/11/2025 | 12 | 71089 | 13062 | -11670 | 8320 | 5590 | -4995 | 0.123 | 0 | 0 | 0
4/11/2025 | 13 | 71411 | 13575 | -12169 | 8092 | 5810 | -5208 | 0.119 | 0 | 0 | 0
4/11/2025 | 14 | 73193 | 13892 | -12320 | 8190 | 5946 | -5273 | 0.119 | 0 | 0 | 0
4/11/2025 | 15 | 74385 | 13741 | -12428 | 8260 | 5881 | -5319 | 0.117 | 0 | 0 | 0
4/11/2025 | 16 | 77506 | 13964 | -13089 | 8895 | 5977 | -5602 | 0.118 | 0 | 0 | 0
4/11/2025 | 17 | 80742 | 14216 | -13581 | 9813 | 6084 | -5813 | 0.124 | 0 | 0 | 0
4/11/2025 | 18 | 83695 | 15457 | -14100 | 11637 | 6616 | -6035 | 0.144 | 232 | 0 | 0
4/11/2025 | 19 | 84550 | 18726 | -16866 | 14170 | 8014 | -7219 | 0.173 | 487 | 0 | 0
4/11/2025 | 20 | 83615 | 18800 | -16879 | 14329 | 8046 | -7225 | 0.177 | 828 | 35 | 0.042
4/11/2025 | 21 | 82275 | 18226 | -16537 | 13772 | 7801 | -7078 | 0.173 | 814 | 136 | 0.167
4/11/2025 | 22 | 78537 | 18018 | -16066 | 13396 | 7712 | -6877 | 0.177 | 1017 | 131 | 0.129
4/11/2025 | 23 | 75072 | 16208 | -14170 | 13214 | 6937 | -6064 | 0.183 | 1417 | 205 | 0.145
4/11/2025 | 24 | 70676 | 15988 | -13850 | 12615 | 6843 | -5928 | 0.186 | 1474 | 344 | 0.233
4/12/2025 | 1 | 67351 | 15887 | -13834 | 12017 | 6800 | -5921 | 0.186 | 1235 | 230 | 0.186
4/12/2025 | 2 | 64421 | 16128 | -13923 | 11172 | 6903 | -5959 | 0.182 | 1033 | 163 | 0.158
4/12/2025 | 3 | 62490 | 16046 | -13969 | 10656 | 6868 | -5978 | 0.179 | 578 | 54 | 0.093
4/12/2025 | 4 | 61339 | 15793 | -13766 | 10462 | 6759 | -5892 | 0.179 | 346 | 0 | 0
4/12/2025 | 5 | 62234 | 15610 | -13934 | 10616 | 6681 | -5963 | 0.177 | 43 | 0 | 0
4/12/2025 | 6 | 64306 | 15333 | -13887 | 10776 | 6562 | -5944 | 0.173 | 62 | 0 | 0
4/12/2025 | 7 | 66208 | 16811 | -15604 | 10592 | 7195 | -6678 | 0.165 | 699 | 1 | 0.001
4/12/2025 | 8 | 68684 | 15718 | -15160 | 9273 | 6727 | -6488 | 0.137 | 230 | 0 | 0
4/12/2025 | 9 | 69642 | 13026 | -13042 | 7757 | 5575 | -5582 | 0.111 | 0 | 0 | 0
4/12/2025 | 10 | 69209 | 12461 | -12823 | 7504 | 5333 | -5489 | 0.107 | 0 | 0 | 0
4/12/2025 | 11 | 67327 | 12878 | -13244 | 7342 | 5512 | -5668 | 0.107 | 0 | 0 | 0
4/12/2025 | 12 | 65684 | 13014 | -13152 | 7430 | 5570 | -5629 | 0.112 | 0 | 0 | 0
4/12/2025 | 13 | 66135 | 13272 | -13468 | 7562 | 5680 | -5764 | 0.113 | 0 | 0 | 0
4/12/2025 | 14 | 66482 | 13155 | -13346 | 7752 | 5630 | -5712 | 0.116 | 0 | 0 | 0
4/12/2025 | 15 | 67214 | 13534 | -13304 | 8038 | 5792 | -5694 | 0.121 | 0 | 0 | 0
4/12/2025 | 16 | 70183 | 14174 | -13943 | 8104 | 6066 | -5968 | 0.116 | 0 | 0 | 0
4/12/2025 | 17 | 73710 | 14660 | -14594 | 8854 | 6275 | -6246 | 0.12 | 0 | 0 | 0
4/12/2025 | 18 | 77211 | 16147 | -15716 | 9748 | 6911 | -6726 | 0.128 | 0 | 0 | 0
4/12/2025 | 19 | 77692 | 19520 | -17719 | 10897 | 8354 | -7584 | 0.147 | 576 | 72 | 0.125
4/12/2025 | 20 | 78683 | 19404 | -17457 | 11597 | 8305 | -7472 | 0.154 | 1029 | 78 | 0.076
4/12/2025 | 21 | 77804 | 18661 | -16314 | 12191 | 7987 | -6982 | 0.165 | 977 | 49 | 0.05
4/12/2025 | 22 | 75050 | 18402 | -15795 | 12884 | 7876 | -6760 | 0.18 | 987 | 0 | 0
4/12/2025 | 23 | 71077 | 16339 | -13453 | 12546 | 6993 | -5758 | 0.186 | 865 | 19 | 0.022
4/12/2025 | 24 | 67364 | 16198 | -13135 | 12881 | 6933 | -5622 | 0.202 | 655 | 3 | 0.005
4/13/2025 | 1 | 64581 | 15453 | -11855 | 12222 | 6614 | -5074 | 0.202 | 886 | 35 | 0.04
4/13/2025 | 2 | 62338 | 15289 | -11646 | 11891 | 6544 | -4984 | 0.204 | 1152 | 127 | 0.11
4/13/2025 | 3 | 60867 | 14986 | -11473 | 11292 | 6414 | -4911 | 0.199 | 1298 | 114 | 0.088
4/13/2025 | 4 | 60701 | 14270 | -11386 | 11449 | 6108 | -4873 | 0.199 | 933 | 33 | 0.035
4/13/2025 | 5 | 61025 | 15296 | -12342 | 11510 | 6547 | -5282 | 0.2 | 1174 | 126 | 0.107
4/13/2025 | 6 | 62567 | 15043 | -12112 | 11684 | 6438 | -5184 | 0.198 | 774 | 2 | 0.003
4/13/2025 | 7 | 64770 | 14664 | -12064 | 12028 | 6276 | -5163 | 0.195 | 1052 | 88 | 0.084
4/13/2025 | 8 | 66343 | 11912 | -10053 | 9812 | 5098 | -4303 | 0.156 | 1106 | 238 | 0.215
4/13/2025 | 9 | 66710 | 11341 | -9592 | 8134 | 4854 | -4105 | 0.13 | 0 | 0 | 0
4/13/2025 | 10 | 65377 | 11578 | -9952 | 7515 | 4955 | -4259 | 0.123 | 0 | 0 | 0
4/13/2025 | 11 | 63750 | 11440 | -10148 | 7501 | 4896 | -4343 | 0.124 | 0 | 0 | 0
4/13/2025 | 12 | 62012 | 12122 | -10975 | 7514 | 5188 | -4697 | 0.127 | 0 | 0 | 0
4/13/2025 | 13 | 60755 | 12021 | -11065 | 7557 | 5145 | -4736 | 0.129 | 0 | 0 | 0
4/13/2025 | 14 | 60676 | 12011 | -11312 | 7600 | 5141 | -4841 | 0.129 | 0 | 0 | 0
4/13/2025 | 15 | 62877 | 12135 | -11250 | 7856 | 5194 | -4815 | 0.129 | 0 | 0 | 0
4/13/2025 | 16 | 66754 | 11802 | -11020 | 8268 | 5051 | -4716 | 0.127 | 0 | 0 | 0
4/13/2025 | 17 | 71079 | 10869 | -10151 | 9005 | 4652 | -4345 | 0.13 | 0 | 0 | 0
4/13/2025 | 18 | 74247 | 11655 | -10654 | 10390 | 4988 | -4560 | 0.144 | 237 | 0 | 0
4/13/2025 | 19 | 76424 | 14211 | -12306 | 13107 | 6082 | -5267 | 0.178 | 1022 | 46 | 0.045
4/13/2025 | 20 | 77778 | 14308 | -12203 | 14855 | 6124 | -5223 | 0.197 | 926 | 21 | 0.023
4/13/2025 | 21 | 77596 | 14170 | -12075 | 15448 | 6065 | -5168 | 0.205 | 965 | 50 | 0.052
4/13/2025 | 22 | 74679 | 14199 | -12126 | 15704 | 6077 | -5190 | 0.216 | 1163 | 107 | 0.092
4/13/2025 | 23 | 69470 | 14170 | -11894 | 15351 | 6065 | -5091 | 0.228 | 1106 | 75 | 0.068
4/13/2025 | 24 | 65630 | 13836 | -11483 | 14884 | 5922 | -4915 | 0.234 | 1055 | 61 | 0.058
4/14/2025 | 1 | 63665 | 14006 | -11715 | 14730 | 5995 | -5014 | 0.238 | 1041 | 62 | 0.06
4/14/2025 | 2 | 61820 | 13832 | -11522 | 14497 | 5920 | -4931 | 0.241 | 945 | 38 | 0.04
4/14/2025 | 3 | 60759 | 13969 | -11722 | 14555 | 5978 | -5017 | 0.246 | 873 | 28 | 0.032
4/14/2025 | 4 | 60791 | 13944 | -11758 | 14663 | 5968 | -5033 | 0.248 | 751 | 1 | 0.001
4/14/2025 | 5 | 63038 | 14106 | -12114 | 15128 | 6038 | -5185 | 0.246 | 686 | 0 | 0
4/14/2025 | 6 | 67790 | 14994 | -13284 | 15270 | 6418 | -5685 | 0.23 | 500 | 0 | 0
4/14/2025 | 7 | 73114 | 15524 | -13996 | 15536 | 6644 | -5990 | 0.217 | 668 | 52 | 0.078
4/14/2025 | 8 | 76478 | 13643 | -12730 | 14311 | 5839 | -5449 | 0.19 | 1528 | 407 | 0.266
4/14/2025 | 9 | 75530 | 12836 | -11966 | 11854 | 5494 | -5122 | 0.16 | 894 | 227 | 0.254
4/14/2025 | 10 | 73387 | 13347 | -12629 | 10715 | 5713 | -5405 | 0.149 | 180 | 0 | 0
4/14/2025 | 11 | 70865 | 13531 | -12800 | 9751 | 5791 | -5478 | 0.141 | 0 | 0 | 0
4/14/2025 | 12 | 69080 | 13698 | -12774 | 9655 | 5862 | -5467 | 0.144 | 2 | 0 | 0
4/14/2025 | 13 | 69532 | 13178 | -12217 | 9436 | 5640 | -5229 | 0.14 | 0 | 0 | 0
4/14/2025 | 14 | 70518 | 13286 | -12738 | 9365 | 5687 | -5452 | 0.135 | 0 | 0 | 0
4/14/2025 | 15 | 71824 | 12970 | -11954 | 9686 | 5551 | -5117 | 0.139 | 92 | 0 | 0
4/14/2025 | 16 | 73967 | 13162 | -11958 | 10548 | 5633 | -5118 | 0.147 | 0 | 0 | 0
4/14/2025 | 17 | 75662 | 14194 | -13041 | 12480 | 6075 | -5582 | 0.169 | 5 | 0 | 0
4/14/2025 | 18 | 77761 | 14996 | -12980 | 13376 | 6418 | -5555 | 0.178 | 578 | 65 | 0.112
4/14/2025 | 19 | 79698 | 16942 | -15057 | 15497 | 7251 | -6444 | 0.2 | 482 | 4 | 0.008
4/14/2025 | 20 | 80361 | 17209 | -15373 | 16763 | 7366 | -6579 | 0.214 | 581 | 29 | 0.05
4/14/2025 | 21 | 79286 | 17093 | -15061 | 17007 | 7316 | -6446 | 0.22 | 706 | 71 | 0.101
4/14/2025 | 22 | 76141 | 16616 | -14435 | 17231 | 7112 | -6178 | 0.232 | 750 | 63 | 0.084
4/14/2025 | 23 | 71011 | 14709 | -12435 | 16170 | 6296 | -5322 | 0.234 | 789 | 106 | 0.134
4/14/2025 | 24 | 66738 | 14518 | -12090 | 15532 | 6214 | -5174 | 0.24 | 1116 | 162 | 0.145
4/15/2025 | 1 | 64355 | 13217 | -10702 | 15465 | 5657 | -4580 | 0.247 | 1216 | 177 | 0.146
4/15/2025 | 2 | 62068 | 13007 | -10386 | 14945 | 5567 | -4445 | 0.248 | 1188 | 171 | 0.144
4/15/2025 | 3 | 60670 | 12795 | -10282 | 14570 | 5476 | -4401 | 0.248 | 1146 | 156 | 0.136
4/15/2025 | 4 | 60383 | 12776 | -10196 | 14515 | 5468 | -4364 | 0.248 | 942 | 41 | 0.044
4/15/2025 | 5 | 62194 | 12658 | -10130 | 15045 | 5418 | -4335 | 0.249 | 831 | 25 | 0.03
4/15/2025 | 6 | 66328 | 13111 | -10709 | 15513 | 5611 | -4583 | 0.241 | 793 | 34 | 0.043
4/15/2025 | 7 | 72051 | 14421 | -12426 | 15382 | 6172 | -5318 | 0.219 | 1310 | 224 | 0.171
4/15/2025 | 8 | 74865 | 12817 | -11288 | 13263 | 5486 | -4831 | 0.182 | 613 | 36 | 0.059
4/15/2025 | 9 | 73974 | 11403 | -9944 | 10734 | 4880 | -4256 | 0.151 | 0 | 0 | 0
4/15/2025 | 10 | 73706 | 11473 | -10138 | 8964 | 4910 | -4339 | 0.127 | 0 | 0 | 0
4/15/2025 | 11 | 72717 | 11803 | -10544 | 8448 | 5052 | -4513 | 0.121 | 0 | 0 | 0
4/15/2025 | 12 | 72151 | 11173 | -10193 | 9643 | 4782 | -4363 | 0.138 | 0 | 0 | 0
4/15/2025 | 13 | 71783 | 11417 | -10533 | 8634 | 4887 | -4508 | 0.124 | 0 | 0 | 0
4/15/2025 | 14 | 71847 | 11918 | -11045 | 8416 | 5101 | -4728 | 0.121 | 0 | 0 | 0
4/15/2025 | 15 | 72364 | 11787 | -10989 | 8604 | 5045 | -4703 | 0.122 | 0 | 0 | 0
4/15/2025 | 16 | 73974 | 11692 | -11028 | 9150 | 5004 | -4720 | 0.126 | 0 | 0 | 0
4/15/2025 | 17 | 76129 | 12403 | -11453 | 10386 | 5309 | -4902 | 0.14 | 0 | 0 | 0
4/15/2025 | 18 | 79595 | 13877 | -12733 | 11923 | 5939 | -5450 | 0.154 | 0 | 0 | 0
4/15/2025 | 19 | 81580 | 16868 | -15287 | 14568 | 7220 | -6543 | 0.183 | 187 | 0 | 0
4/15/2025 | 20 | 81700 | 17496 | -15845 | 15869 | 7488 | -6781 | 0.199 | 537 | 7 | 0.013
4/15/2025 | 21 | 80807 | 17587 | -15696 | 16266 | 7527 | -6718 | 0.206 | 711 | 62 | 0.087
4/15/2025 | 22 | 77422 | 17442 | -15130 | 16258 | 7465 | -6476 | 0.216 | 1242 | 178 | 0.143
4/15/2025 | 23 | 72223 | 16272 | -13510 | 16026 | 6964 | -5782 | 0.229 | 1053 | 170 | 0.161
4/15/2025 | 24 | 67094 | 16031 | -13129 | 15266 | 6861 | -5620 | 0.236 | 1099 | 46 | 0.042
4/16/2025 | 1 | 64022 | 15748 | -12807 | 14829 | 6740 | -5481 | 0.24 | 909 | 93 | 0.102
4/16/2025 | 2 | 61633 | 15583 | -12636 | 13774 | 6669 | -5408 | 0.233 | 933 | 66 | 0.071
4/16/2025 | 3 | 60152 | 15286 | -12529 | 13621 | 6543 | -5362 | 0.235 | 739 | 13 | 0.018
4/16/2025 | 4 | 60336 | 14878 | -12380 | 13567 | 6368 | -5299 | 0.233 | 763 | 43 | 0.056
4/16/2025 | 5 | 61733 | 14892 | -12453 | 13489 | 6374 | -5330 | 0.226 | 910 | 76 | 0.084
4/16/2025 | 6 | 66257 | 15120 | -12919 | 14000 | 6472 | -5529 | 0.218 | 836 | 56 | 0.067
4/16/2025 | 7 | 72151 | 15500 | -14076 | 13715 | 6634 | -6025 | 0.195 | 841 | 6 | 0.007
4/16/2025 | 8 | 75250 | 12074 | -11444 | 12040 | 5168 | -4898 | 0.162 | 414 | 11 | 0.027
4/16/2025 | 9 | 75540 | 10212 | -9703 | 10040 | 4371 | -4153 | 0.135 | 0 | 0 | 0
4/16/2025 | 10 | 73848 | 11006 | -10068 | 8330 | 4710 | -4309 | 0.117 | 0 | 0 | 0
4/16/2025 | 11 | 72002 | 11410 | -10118 | 7995 | 4884 | -4331 | 0.117 | 0 | 0 | 0
4/16/2025 | 12 | 71016 | 11314 | -10256 | 7842 | 4843 | -4389 | 0.115 | 0 | 0 | 0
4/16/2025 | 13 | 70382 | 11044 | -10094 | 7749 | 4727 | -4320 | 0.114 | 0 | 0 | 0
4/16/2025 | 14 | 70437 | 10934 | -10199 | 7880 | 4680 | -4365 | 0.115 | 0 | 0 | 0
4/16/2025 | 15 | 71588 | 10170 | -9948 | 8156 | 4353 | -4258 | 0.115 | 0 | 0 | 0
4/16/2025 | 16 | 73529 | 10815 | -10615 | 8786 | 4629 | -4543 | 0.12 | 0 | 0 | 0
4/16/2025 | 17 | 76040 | 11536 | -11390 | 9731 | 4937 | -4875 | 0.129 | 0 | 0 | 0
4/16/2025 | 18 | 79049 | 13948 | -13128 | 10484 | 5970 | -5619 | 0.136 | 0 | 0 | 0
4/16/2025 | 19 | 80509 | 16026 | -15054 | 12002 | 6859 | -6443 | 0.152 | 282 | 0 | 0
4/16/2025 | 20 | 81921 | 16679 | -15678 | 13293 | 7138 | -6710 | 0.165 | 584 | 0 | 0
4/16/2025 | 21 | 81465 | 16680 | -15236 | 13574 | 7139 | -6521 | 0.171 | 695 | 0 | 0
4/16/2025 | 22 | 78239 | 16123 | -14703 | 13454 | 6900 | -6293 | 0.177 | 1062 | 0 | 0
4/16/2025 | 23 | 73624 | 14912 | -13512 | 13374 | 6382 | -5783 | 0.186 | 774 | 0 | 0
4/16/2025 | 24 | 69307 | 14334 | -13069 | 12564 | 6135 | -5593 | 0.186 | 751 | 64 | 0.085
4/17/2025 | 1 | 65916 | 13980 | -12749 | 12090 | 5984 | -5456 | 0.188 | 645 | 15 | 0.023
4/17/2025 | 2 | 64586 | 13644 | -12654 | 12207 | 5840 | -5416 | 0.193 | 740 | 1 | 0.001
4/17/2025 | 3 | 63358 | 13263 | -12554 | 12436 | 5677 | -5373 | 0.199 | 745 | 0 | 0
4/17/2025 | 4 | 62955 | 13185 | -12540 | 12571 | 5643 | -5367 | 0.202 | 601 | 0 | 0
4/17/2025 | 5 | 64579 | 13139 | -12386 | 12797 | 5624 | -5301 | 0.201 | 229 | 0 | 0
4/17/2025 | 6 | 68837 | 13292 | -12336 | 13000 | 5689 | -5280 | 0.192 | 8 | 0 | 0
4/17/2025 | 7 | 74225 | 12848 | -12124 | 13339 | 5499 | -5189 | 0.182 | 597 | 0 | 0
4/17/2025 | 8 | 77024 | 12011 | -11880 | 11826 | 5141 | -5084 | 0.154 | 299 | 38 | 0.127
4/17/2025 | 9 | 76493 | 10630 | -10583 | 10227 | 4550 | -4529 | 0.134 | 7 | 0 | 0
4/17/2025 | 10 | 75830 | 10678 | -10855 | 9374 | 4570 | -4646 | 0.123 | 0 | 0 | 0
4/17/2025 | 11 | 74299 | 11108 | -11206 | 8692 | 4754 | -4796 | 0.117 | 0 | 0 | 0
4/17/2025 | 12 | 72960 | 11867 | -11388 | 8241 | 5079 | -4874 | 0.115 | 0 | 0 | 0
4/17/2025 | 13 | 72468 | 11679 | -10960 | 8294 | 4999 | -4691 | 0.118 | 0 | 0 | 0
4/17/2025 | 14 | 71688 | 12542 | -11322 | 8034 | 5368 | -4846 | 0.117 | 0 | 0 | 0
4/17/2025 | 15 | 71417 | 11920 | -10700 | 8147 | 5102 | -4580 | 0.119 | 0 | 0 | 0
4/17/2025 | 16 | 71886 | 11417 | -10415 | 8677 | 4886 | -4458 | 0.125 | 0 | 0 | 0
4/17/2025 | 17 | 73222 | 11736 | -10647 | 9626 | 5023 | -4557 | 0.136 | 0 | 0 | 0
4/17/2025 | 18 | 74716 | 12253 | -11148 | 11381 | 5244 | -4771 | 0.156 | 0 | 0 | 0
4/17/2025 | 19 | 76477 | 14643 | -13365 | 13155 | 6268 | -5720 | 0.176 | 263 | 0 | 0
4/17/2025 | 20 | 77739 | 15036 | -13774 | 13787 | 6435 | -5895 | 0.181 | 368 | 0 | 0
4/17/2025 | 21 | 77426 | 15006 | -13542 | 13663 | 6422 | -5796 | 0.181 | 327 | 0 | 0
4/17/2025 | 22 | 75779 | 14992 | -13776 | 13483 | 6417 | -5896 | 0.182 | 452 | 0 | 0
4/17/2025 | 23 | 72345 | 13911 | -12501 | 13759 | 5954 | -5351 | 0.195 | 269 | 0 | 0
4/17/2025 | 24 | 68167 | 13779 | -12296 | 13574 | 5898 | -5262 | 0.204 | 382 | 22 | 0.058
4/18/2025 | 1 | 66256 | 13321 | -12492 | 13652 | 5701 | -5346 | 0.209 | 176 | 0 | 0
4/18/2025 | 2 | 64222 | 14282 | -13521 | 13462 | 6113 | -5787 | 0.212 | 361 | 22 | 0.061
4/18/2025 | 3 | 62942 | 13728 | -12920 | 13784 | 5876 | -5530 | 0.222 | 320 | 0 | 0
4/18/2025 | 4 | 62636 | 13723 | -12797 | 13828 | 5874 | -5477 | 0.224 | 314 | 5 | 0.016
4/18/2025 | 5 | 63853 | 13649 | -12652 | 13721 | 5842 | -5415 | 0.218 | 428 | 56 | 0.131
4/18/2025 | 6 | 67128 | 13235 | -12083 | 14126 | 5665 | -5172 | 0.214 | 467 | 33 | 0.071
4/18/2025 | 7 | 71724 | 12817 | -11869 | 14444 | 5486 | -5080 | 0.204 | 1226 | 267 | 0.218
4/18/2025 | 8 | 74285 | 11718 | -11156 | 12628 | 5015 | -4775 | 0.172 | 562 | 109 | 0.194
4/18/2025 | 9 | 74281 | 11280 | -10858 | 10253 | 4828 | -4647 | 0.14 | 0 | 0 | 0
4/18/2025 | 10 | 74012 | 11708 | -11683 | 9825 | 5011 | -5000 | 0.133 | 219 | 0 | 0
4/18/2025 | 11 | 72178 | 12245 | -12103 | 9624 | 5241 | -5180 | 0.134 | 0 | 0 | 0
4/18/2025 | 12 | 69944 | 12600 | -12633 | 8601 | 5393 | -5407 | 0.123 | 0 | 0 | 0
4/18/2025 | 13 | 68036 | 12126 | -12090 | 8486 | 5190 | -5175 | 0.125 | 0 | 0 | 0
4/18/2025 | 14 | 66677 | 12341 | -12284 | 8484 | 5282 | -5257 | 0.128 | 0 | 0 | 0
4/18/2025 | 15 | 66747 | 12482 | -12674 | 8433 | 5342 | -5424 | 0.125 | 0 | 0 | 0
4/18/2025 | 16 | 67860 | 12105 | -12412 | 8873 | 5181 | -5312 | 0.129 | 0 | 0 | 0
4/18/2025 | 17 | 69739 | 13062 | -13330 | 9814 | 5590 | -5705 | 0.14 | 0 | 0 | 0
4/18/2025 | 18 | 72150 | 13065 | -13096 | 10956 | 5592 | -5605 | 0.152 | 0 | 0 | 0
4/18/2025 | 19 | 73946 | 14123 | -13079 | 12869 | 6044 | -5598 | 0.178 | 92 | 8 | 0.087
4/18/2025 | 20 | 74943 | 14739 | -13216 | 14280 | 6308 | -5657 | 0.195 | 529 | 0 | 0
4/18/2025 | 21 | 74714 | 14408 | -12872 | 14482 | 6167 | -5509 | 0.199 | 847 | 19 | 0.022
4/18/2025 | 22 | 72520 | 13799 | -12199 | 14716 | 5906 | -5221 | 0.208 | 1443 | 253 | 0.175
4/18/2025 | 23 | 68239 | 14359 | -12122 | 14849 | 6145 | -5188 | 0.224 | 1492 | 318 | 0.213
4/18/2025 | 24 | 64042 | 15057 | -12903 | 14350 | 6444 | -5522 | 0.231 | 1104 | 290 | 0.263
4/19/2025 | 1 | 62268 | 15436 | -13109 | 13843 | 6606 | -5611 | 0.23 | 1469 | 515 | 0.351
4/19/2025 | 2 | 60751 | 15146 | -12742 | 13575 | 6483 | -5453 | 0.231 | 1208 | 370 | 0.306
4/19/2025 | 3 | 59058 | 15313 | -12857 | 12758 | 6554 | -5503 | 0.224 | 884 | 200 | 0.226
4/19/2025 | 4 | 58727 | 15586 | -13080 | 12372 | 6671 | -5598 | 0.22 | 755 | 130 | 0.172
4/19/2025 | 5 | 59502 | 15314 | -13099 | 12245 | 6554 | -5606 | 0.214 | 700 | 116 | 0.166
4/19/2025 | 6 | 61168 | 15556 | -13670 | 12040 | 6658 | -5851 | 0.204 | 434 | 9 | 0.021
4/19/2025 | 7 | 63130 | 16068 | -14185 | 11028 | 6877 | -6071 | 0.182 | 668 | 38 | 0.057
4/19/2025 | 8 | 64032 | 13300 | -12121 | 8462 | 5693 | -5188 | 0.138 | 809 | 117 | 0.145
4/19/2025 | 9 | 65195 | 12169 | -11964 | 6992 | 5208 | -5121 | 0.108 | 0 | 0 | 0
4/19/2025 | 10 | 64013 | 11892 | -11962 | 6672 | 5090 | -5120 | 0.104 | 0 | 0 | 0
4/19/2025 | 11 | 61689 | 11667 | -12038 | 7086 | 4993 | -5153 | 0.113 | 0 | 0 | 0
4/19/2025 | 12 | 59659 | 12206 | -13045 | 6317 | 5224 | -5583 | 0.101 | 0 | 0 | 0
4/19/2025 | 13 | 58942 | 12453 | -13646 | 6404 | 5330 | -5841 | 0.102 | 0 | 0 | 0
4/19/2025 | 14 | 58062 | 12626 | -13618 | 6162 | 5404 | -5828 | 0.101 | 0 | 0 | 0
4/19/2025 | 15 | 58544 | 12708 | -14248 | 5965 | 5439 | -6098 | 0.093 | 0 | 0 | 0
4/19/2025 | 16 | 60971 | 13631 | -15209 | 6222 | 5834 | -6509 | 0.093 | 0 | 0 | 0
4/19/2025 | 17 | 64698 | 14152 | -15537 | 6632 | 6057 | -6650 | 0.095 | 0 | 0 | 0
4/19/2025 | 18 | 68169 | 13786 | -13909 | 7609 | 5900 | -5953 | 0.111 | 0 | 0 | 0
4/19/2025 | 19 | 70402 | 15213 | -13574 | 9708 | 6511 | -5810 | 0.144 | 261 | 0 | 0
4/19/2025 | 20 | 72768 | 15825 | -13966 | 11094 | 6773 | -5978 | 0.159 | 766 | 1 | 0.001
4/19/2025 | 21 | 72861 | 15902 | -13892 | 11449 | 6806 | -5945 | 0.164 | 994 | 84 | 0.085
4/19/2025 | 22 | 70671 | 15892 | -13862 | 10991 | 6802 | -5933 | 0.163 | 1192 | 163 | 0.137
4/19/2025 | 23 | 68125 | 15030 | -13143 | 11190 | 6433 | -5626 | 0.171 | 704 | 129 | 0.183
4/19/2025 | 24 | 64326 | 15113 | -12972 | 11000 | 6468 | -5552 | 0.179 | 771 | 90 | 0.117
4/20/2025 | 1 | 62238 | 14818 | -12982 | 10963 | 6342 | -5557 | 0.183 | 686 | 47 | 0.069
4/20/2025 | 2 | 61245 | 14406 | -12683 | 10620 | 6166 | -5428 | 0.18 | 1208 | 167 | 0.138
4/20/2025 | 3 | 59734 | 14166 | -12522 | 10358 | 6063 | -5360 | 0.18 | 1575 | 282 | 0.179
4/20/2025 | 4 | 59371 | 14358 | -12696 | 10504 | 6145 | -5434 | 0.184 | 1296 | 243 | 0.188
4/20/2025 | 5 | 60023 | 14369 | -12733 | 10327 | 6150 | -5450 | 0.179 | 966 | 102 | 0.106
4/20/2025 | 6 | 61546 | 14265 | -12795 | 10526 | 6106 | -5476 | 0.177 | 404 | 2 | 0.005
4/20/2025 | 7 | 63212 | 12764 | -11844 | 10110 | 5463 | -5069 | 0.164 | 368 | 0 | 0
4/20/2025 | 8 | 64053 | 10098 | -10109 | 7598 | 4322 | -4327 | 0.119 | 480 | 16 | 0.033
4/20/2025 | 9 | 65169 | 8460 | -9683 | 6683 | 3621 | -4145 | 0.096 | 133 | 0 | 0
4/20/2025 | 10 | 63590 | 8810 | -10253 | 6194 | 3771 | -4388 | 0.09 | 0 | 0 | 0
4/20/2025 | 11 | 61978 | 8801 | -10602 | 6139 | 3767 | -4538 | 0.089 | 0 | 0 | 0
4/20/2025 | 12 | 60147 | 9476 | -11338 | 6201 | 4055 | -4853 | 0.093 | 0 | 0 | 0
4/20/2025 | 13 | 59277 | 9053 | -11144 | 6274 | 3874 | -4769 | 0.094 | 0 | 0 | 0
4/20/2025 | 14 | 58501 | 8904 | -10773 | 6241 | 3811 | -4611 | 0.096 | 1 | 0 | 0
4/20/2025 | 15 | 59907 | 9487 | -11348 | 6147 | 4060 | -4857 | 0.092 | 0 | 0 | 0
4/20/2025 | 16 | 62004 | 10307 | -12231 | 6129 | 4411 | -5235 | 0.088 | 0 | 0 | 0
4/20/2025 | 17 | 65910 | 10238 | -12055 | 6533 | 4382 | -5160 | 0.09 | 0 | 0 | 0
4/20/2025 | 18 | 70335 | 10111 | -11135 | 7563 | 4328 | -4766 | 0.103 | 0 | 0 | 0
4/20/2025 | 19 | 72339 | 12802 | -12237 | 10095 | 5479 | -5237 | 0.142 | 158 | 0 | 0
4/20/2025 | 20 | 74228 | 14116 | -13159 | 11400 | 6042 | -5632 | 0.157 | 529 | 10 | 0.019
4/20/2025 | 21 | 74910 | 14270 | -13261 | 12127 | 6108 | -5676 | 0.165 | 370 | 1 | 0.003
4/20/2025 | 22 | 72829 | 13366 | -12457 | 12574 | 5721 | -5331 | 0.176 | 583 | 56 | 0.096
4/20/2025 | 23 | 68363 | 14082 | -12897 | 12392 | 6027 | -5519 | 0.185 | 842 | 151 | 0.179
4/20/2025 | 24 | 64141 | 14007 | -12438 | 11848 | 5995 | -5324 | 0.191 | 769 | 104 | 0.135
4/21/2025 | 1 | 61999 | 14123 | -12685 | 11765 | 6044 | -5429 | 0.195 | 695 | 101 | 0.145
4/21/2025 | 2 | 60861 | 13880 | -12560 | 11684 | 5940 | -5375 | 0.197 | 1062 | 206 | 0.194
4/21/2025 | 3 | 59522 | 14055 | -12482 | 11651 | 6015 | -5342 | 0.202 | 872 | 139 | 0.159
4/21/2025 | 4 | 59878 | 14058 | -12580 | 11625 | 6017 | -5384 | 0.2 | 658 | 10 | 0.015
4/21/2025 | 5 | 61835 | 14171 | -12612 | 11795 | 6065 | -5398 | 0.197 | 802 | 68 | 0.085
4/21/2025 | 6 | 66293 | 14419 | -13030 | 12086 | 6171 | -5577 | 0.187 | 464 | 6 | 0.013
4/21/2025 | 7 | 70380 | 14861 | -13610 | 11563 | 6361 | -5825 | 0.169 | 1126 | 140 | 0.124
4/21/2025 | 8 | 72628 | 12956 | -12108 | 9382 | 5545 | -5182 | 0.133 | 1664 | 443 | 0.266
4/21/2025 | 9 | 72563 | 11580 | -11342 | 7933 | 4956 | -4854 | 0.11 | 560 | 47 | 0.084
4/21/2025 | 10 | 70931 | 11848 | -11983 | 6914 | 5071 | -5128 | 0.097 | 0 | 0 | 0
4/21/2025 | 11 | 68777 | 12285 | -12456 | 6633 | 5258 | -5331 | 0.096 | 0 | 0 | 0
4/21/2025 | 12 | 67581 | 12793 | -12930 | 6693 | 5475 | -5534 | 0.098 | 0 | 0 | 0
4/21/2025 | 13 | 67010 | 13030 | -13001 | 6992 | 5577 | -5564 | 0.104 | 0 | 0 | 0
4/21/2025 | 14 | 67894 | 12220 | -12100 | 7064 | 5230 | -5179 | 0.105 | 0 | 0 | 0
4/21/2025 | 15 | 68522 | 12324 | -12158 | 7180 | 5275 | -5203 | 0.106 | 0 | 0 | 0
4/21/2025 | 16 | 70842 | 12338 | -12074 | 7338 | 5280 | -5168 | 0.105 | 0 | 0 | 0
4/21/2025 | 17 | 74011 | 12142 | -11917 | 8420 | 5196 | -5100 | 0.115 | 0 | 0 | 0
4/21/2025 | 18 | 78338 | 13081 | -12233 | 10084 | 5598 | -5236 | 0.132 | 117 | 0 | 0
4/21/2025 | 19 | 80858 | 15426 | -13938 | 12827 | 6602 | -5965 | 0.164 | 686 | 14 | 0.02
4/21/2025 | 20 | 82168 | 15830 | -14256 | 14581 | 6775 | -6102 | 0.182 | 1481 | 267 | 0.18
4/21/2025 | 21 | 81476 | 15821 | -14243 | 15343 | 6772 | -6096 | 0.193 | 1302 | 175 | 0.134
4/21/2025 | 22 | 78199 | 15033 | -13443 | 15896 | 6434 | -5754 | 0.208 | 1371 | 287 | 0.209
4/21/2025 | 23 | 73170 | 13805 | -12031 | 15939 | 5908 | -5149 | 0.223 | 1646 | 649 | 0.394
4/21/2025 | 24 | 68175 | 13591 | -11564 | 16284 | 5817 | -4949 | 0.244 | 1241 | 397 | 0.32
4/22/2025 | 1 | 65689 | 11777 | -9910 | 15944 | 5041 | -4242 | 0.248 | 1600 | 479 | 0.299
4/22/2025 | 2 | 63256 | 11334 | -9228 | 15782 | 4851 | -3950 | 0.255 | 1503 | 383 | 0.255
4/22/2025 | 3 | 61741 | 11221 | -9134 | 15526 | 4803 | -3909 | 0.257 | 1494 | 365 | 0.244
4/22/2025 | 4 | 61765 | 11162 | -9210 | 15181 | 4777 | -3942 | 0.251 | 959 | 151 | 0.157
4/22/2025 | 5 | 64273 | 10601 | -9075 | 15624 | 4537 | -3884 | 0.247 | 1612 | 450 | 0.279
4/22/2025 | 6 | 68858 | 10798 | -9221 | 16150 | 4622 | -3947 | 0.239 | 1405 | 280 | 0.199
4/22/2025 | 7 | 73572 | 12782 | -11118 | 16612 | 5471 | -4759 | 0.23 | 1867 | 537 | 0.288
4/22/2025 | 8 | 75812 | 12442 | -11148 | 12717 | 5325 | -4771 | 0.172 | 1003 | 254 | 0.253
4/22/2025 | 9 | 74729 | 12191 | -11567 | 10243 | 5218 | -4951 | 0.139 | 0 | 0 | 0
4/22/2025 | 10 | 71713 | 12057 | -11451 | 9849 | 5160 | -4901 | 0.14 | 0 | 0 | 0
4/22/2025 | 11 | 68446 | 11869 | -11260 | 9247 | 5080 | -4819 | 0.138 | 0 | 0 | 0
4/22/2025 | 12 | 67419 | 12419 | -11839 | 9038 | 5315 | -5067 | 0.137 | 0 | 0 | 0
4/22/2025 | 13 | 67277 | 12386 | -11843 | 8734 | 5301 | -5069 | 0.132 | 0 | 0 | 0
4/22/2025 | 14 | 68270 | 12704 | -12223 | 8962 | 5437 | -5231 | 0.133 | 0 | 0 | 0
4/22/2025 | 15 | 69071 | 12698 | -12217 | 8930 | 5435 | -5229 | 0.131 | 0 | 0 | 0
4/22/2025 | 16 | 70818 | 13209 | -12803 | 9127 | 5654 | -5480 | 0.131 | 0 | 0 | 0
4/22/2025 | 17 | 74449 | 13455 | -13050 | 10025 | 5759 | -5585 | 0.136 | 0 | 0 | 0
4/22/2025 | 18 | 78335 | 13557 | -12431 | 11516 | 5802 | -5320 | 0.151 | 20 | 0 | 0
4/22/2025 | 19 | 81335 | 13703 | -12436 | 14566 | 5865 | -5323 | 0.183 | 1095 | 179 | 0.163
4/22/2025 | 20 | 81969 | 14150 | -12847 | 16308 | 6056 | -5499 | 0.203 | 1242 | 234 | 0.188
4/22/2025 | 21 | 81433 | 13368 | -12003 | 17243 | 5722 | -5137 | 0.215 | 886 | 71 | 0.08
4/22/2025 | 22 | 77888 | 12646 | -11181 | 17141 | 5412 | -4786 | 0.224 | 1474 | 116 | 0.079
4/22/2025 | 23 | 72829 | 10926 | -9432 | 16783 | 4676 | -4037 | 0.234 | 1524 | 188 | 0.123
4/22/2025 | 24 | 67949 | 11053 | -9312 | 15915 | 4731 | -3985 | 0.239 | 1498 | 239 | 0.16
4/23/2025 | 1 | 65580 | 11562 | -9679 | 15700 | 4948 | -4142 | 0.245 | 1095 | 129 | 0.118
4/23/2025 | 2 | 63764 | 11357 | -9544 | 15466 | 4861 | -4085 | 0.248 | 894 | 93 | 0.104
4/23/2025 | 3 | 62385 | 11007 | -9129 | 15314 | 4711 | -3907 | 0.251 | 1044 | 216 | 0.207
4/23/2025 | 4 | 62196 | 10985 | -9083 | 14932 | 4702 | -3887 | 0.246 | 403 | 39 | 0.097
4/23/2025 | 5 | 64075 | 11211 | -9315 | 15054 | 4798 | -3987 | 0.24 | 426 | 9 | 0.021
4/23/2025 | 6 | 68707 | 11838 | -10000 | 15210 | 5067 | -4280 | 0.227 | 542 | 10 | 0.018
4/23/2025 | 7 | 73609 | 14463 | -12803 | 15070 | 6190 | -5480 | 0.21 | 1371 | 303 | 0.221
4/23/2025 | 8 | 76252 | 13109 | -12157 | 11836 | 5610 | -5203 | 0.159 | 489 | 71 | 0.145
4/23/2025 | 9 | 75216 | 12670 | -11987 | 9530 | 5423 | -5131 | 0.129 | 0 | 0 | 0
4/23/2025 | 10 | 73732 | 12695 | -12331 | 9042 | 5433 | -5278 | 0.124 | 0 | 0 | 0
4/23/2025 | 11 | 72071 | 12854 | -12916 | 8405 | 5501 | -5528 | 0.116 | 0 | 0 | 0
4/23/2025 | 12 | 69632 | 12791 | -12860 | 8208 | 5475 | -5504 | 0.118 | 0 | 0 | 0
4/23/2025 | 13 | 68273 | 13056 | -13041 | 8388 | 5588 | -5582 | 0.123 | 0 | 0 | 0
4/23/2025 | 14 | 68166 | 12925 | -12870 | 8328 | 5532 | -5508 | 0.122 | 0 | 0 | 0
4/23/2025 | 15 | 68643 | 12782 | -12854 | 8757 | 5471 | -5502 | 0.127 | 0 | 0 | 0
4/23/2025 | 16 | 70175 | 12952 | -13247 | 8652 | 5543 | -5670 | 0.122 | 0 | 0 | 0
4/23/2025 | 17 | 73358 | 13722 | -13950 | 9288 | 5873 | -5971 | 0.126 | 0 | 0 | 0
4/23/2025 | 18 | 77208 | 13694 | -13496 | 10300 | 5861 | -5776 | 0.134 | 0 | 0 | 0
4/23/2025 | 19 | 80355 | 14490 | -13702 | 12758 | 6202 | -5865 | 0.161 | 365 | 19 | 0.052
4/23/2025 | 20 | 81919 | 14772 | -14274 | 14770 | 6322 | -6109 | 0.182 | 852 | 92 | 0.108
4/23/2025 | 21 | 80907 | 15271 | -14242 | 14702 | 6536 | -6096 | 0.185 | 902 | 131 | 0.145
4/23/2025 | 22 | 77734 | 14691 | -13640 | 14801 | 6288 | -5838 | 0.194 | 727 | 45 | 0.062
4/23/2025 | 23 | 72446 | 11734 | -10548 | 14347 | 5022 | -4514 | 0.202 | 482 | 59 | 0.122
4/23/2025 | 24 | 67906 | 11262 | -10130 | 13888 | 4820 | -4336 | 0.208 | 637 | 120 | 0.188
4/24/2025 | 1 | 65700 | 11527 | -10381 | 13980 | 4934 | -4443 | 0.216 | 507 | 59 | 0.116
4/24/2025 | 2 | 63679 | 11657 | -10432 | 13968 | 4989 | -4465 | 0.223 | 261 | 45 | 0.172
4/24/2025 | 3 | 62382 | 11463 | -10265 | 14005 | 4906 | -4393 | 0.228 | 414 | 0 | 0
4/24/2025 | 4 | 62241 | 11286 | -10152 | 14272 | 4830 | -4345 | 0.233 | 329 | 0 | 0
4/24/2025 | 5 | 64295 | 11407 | -10463 | 14692 | 4882 | -4478 | 0.231 | 232 | 0 | 0
4/24/2025 | 6 | 68881 | 12011 | -11285 | 15267 | 5140 | -4830 | 0.224 | 161 | 0 | 0
4/24/2025 | 7 | 72883 | 13785 | -12999 | 14220 | 5900 | -5564 | 0.198 | 107 | 0 | 0
4/24/2025 | 8 | 74854 | 11794 | -11303 | 11289 | 5048 | -4838 | 0.153 | 61 | 0 | 0
4/24/2025 | 9 | 75032 | 11341 | -11529 | 9691 | 4854 | -4934 | 0.128 | 0 | 0 | 0
4/24/2025 | 10 | 73276 | 11004 | -11114 | 9554 | 4710 | -4757 | 0.13 | 0 | 0 | 0
4/24/2025 | 11 | 70922 | 11476 | -11514 | 9184 | 4912 | -4928 | 0.129 | 0 | 0 | 0
4/24/2025 | 12 | 69100 | 11648 | -11701 | 8880 | 4985 | -5008 | 0.128 | 0 | 0 | 0
4/24/2025 | 13 | 68322 | 11742 | -11932 | 8867 | 5025 | -5107 | 0.129 | 0 | 0 | 0
4/24/2025 | 14 | 68510 | 12264 | -12432 | 9089 | 5249 | -5320 | 0.132 | 0 | 0 | 0
4/24/2025 | 15 | 69767 | 12316 | -12481 | 9105 | 5271 | -5342 | 0.13 | 0 | 0 | 0
4/24/2025 | 16 | 72184 | 12192 | -12400 | 9186 | 5218 | -5307 | 0.126 | 0 | 0 | 0
4/24/2025 | 17 | 74957 | 12378 | -12417 | 10100 | 5298 | -5315 | 0.135 | 0 | 0 | 0
4/24/2025 | 18 | 78123 | 12422 | -11895 | 11846 | 5316 | -5091 | 0.153 | 0 | 0 | 0
4/24/2025 | 19 | 79590 | 13990 | -12788 | 14826 | 5988 | -5473 | 0.19 | 45 | 0 | 0
4/24/2025 | 20 | 79831 | 14223 | -12810 | 16098 | 6088 | -5483 | 0.206 | 708 | 0 | 0
4/24/2025 | 21 | 79348 | 13932 | -12365 | 16189 | 5963 | -5292 | 0.208 | 946 | 0 | 0
4/24/2025 | 22 | 76228 | 14049 | -12411 | 16213 | 6013 | -5312 | 0.217 | 1018 | 8 | 0.008
4/24/2025 | 23 | 71307 | 13242 | -10996 | 16234 | 5668 | -4706 | 0.234 | 682 | 13 | 0.019
4/24/2025 | 24 | 67196 | 13384 | -11006 | 16074 | 5728 | -4710 | 0.246 | 890 | 54 | 0.061
4/25/2025 | 1 | 64477 | 13487 | -11340 | 15887 | 5772 | -4853 | 0.252 | 693 | 9 | 0.013
4/25/2025 | 2 | 62409 | 13281 | -11051 | 15453 | 5684 | -4730 | 0.254 | 561 | 7 | 0.012
4/25/2025 | 3 | 60541 | 13134 | -10779 | 15582 | 5622 | -4614 | 0.264 | 552 | 0 | 0
4/25/2025 | 4 | 60392 | 12976 | -10650 | 15651 | 5554 | -4558 | 0.265 | 420 | 0 | 0
4/25/2025 | 5 | 62104 | 12897 | -10815 | 15611 | 5520 | -4629 | 0.257 | 651 | 0 | 0
4/25/2025 | 6 | 65698 | 12931 | -10858 | 15655 | 5534 | -4647 | 0.244 | 589 | 6 | 0.01
4/25/2025 | 7 | 69654 | 13387 | -11318 | 15385 | 5730 | -4844 | 0.227 | 1074 | 52 | 0.048
4/25/2025 | 8 | 72435 | 11802 | -9984 | 12870 | 5051 | -4273 | 0.184 | 1383 | 175 | 0.127
4/25/2025 | 9 | 72653 | 11977 | -10514 | 11264 | 5126 | -4500 | 0.16 | 542 | 0 | 0
4/25/2025 | 10 | 72360 | 12144 | -10728 | 10141 | 5198 | -4591 | 0.146 | 694 | 27 | 0.039
4/25/2025 | 11 | 72563 | 12409 | -11509 | 9869 | 5311 | -4926 | 0.14 | 1318 | 204 | 0.155
4/25/2025 | 12 | 72187 | 12328 | -11642 | 9545 | 5276 | -4982 | 0.135 | 243 | 4 | 0.016
4/25/2025 | 13 | 70499 | 11881 | -11178 | 9220 | 5085 | -4784 | 0.134 | 0 | 0 | 0
4/25/2025 | 14 | 70688 | 12212 | -11367 | 9379 | 5227 | -4865 | 0.136 | 0 | 0 | 0
4/25/2025 | 15 | 71683 | 12135 | -11435 | 9477 | 5194 | -4894 | 0.135 | 0 | 0 | 0
4/25/2025 | 16 | 72990 | 12141 | -11514 | 9624 | 5196 | -4928 | 0.134 | 0 | 0 | 0
4/25/2025 | 17 | 74190 | 13208 | -12378 | 10211 | 5653 | -5298 | 0.141 | 0 | 0 | 0
4/25/2025 | 18 | 74986 | 13640 | -12321 | 11182 | 5838 | -5274 | 0.154 | 67 | 0 | 0
4/25/2025 | 19 | 77031 | 13324 | -11284 | 13627 | 5702 | -4830 | 0.183 | 1243 | 85 | 0.068
4/25/2025 | 20 | 77770 | 14057 | -12189 | 14413 | 6016 | -5217 | 0.191 | 1096 | 76 | 0.069
4/25/2025 | 21 | 77648 | 13830 | -12066 | 14746 | 5919 | -5164 | 0.195 | 1097 | 111 | 0.101
4/25/2025 | 22 | 75052 | 13778 | -11572 | 15166 | 5897 | -4953 | 0.209 | 1279 | 167 | 0.131
4/25/2025 | 23 | 71338 | 13603 | -11303 | 15464 | 5822 | -4838 | 0.223 | 1075 | 182 | 0.169
4/25/2025 | 24 | 67483 | 13167 | -11230 | 15379 | 5636 | -4806 | 0.233 | 1322 | 204 | 0.154
4/26/2025 | 1 | 64272 | 13781 | -11878 | 15123 | 5898 | -5084 | 0.241 | 1212 | 203 | 0.167
4/26/2025 | 2 | 61882 | 13733 | -11605 | 15062 | 5878 | -4967 | 0.25 | 1677 | 433 | 0.258
4/26/2025 | 3 | 59894 | 13497 | -11331 | 14647 | 5777 | -4850 | 0.251 | 1736 | 331 | 0.191
4/26/2025 | 4 | 59004 | 13363 | -11390 | 14508 | 5719 | -4875 | 0.252 | 1705 | 360 | 0.211
4/26/2025 | 5 | 59264 | 14046 | -11868 | 14619 | 6011 | -5079 | 0.253 | 1491 | 294 | 0.197
4/26/2025 | 6 | 60648 | 14390 | -12108 | 14614 | 6159 | -5182 | 0.248 | 1192 | 164 | 0.138
4/26/2025 | 7 | 62223 | 14298 | -12181 | 13126 | 6120 | -5214 | 0.218 | 1100 | 145 | 0.132
4/26/2025 | 8 | 64188 | 13276 | -11935 | 10514 | 5682 | -5108 | 0.169 | 1020 | 153 | 0.15
4/26/2025 | 9 | 66585 | 11417 | -10951 | 9510 | 4887 | -4687 | 0.145 | 801 | 0 | 0
4/26/2025 | 10 | 67325 | 11345 | -10930 | 9802 | 4856 | -4678 | 0.147 | 1052 | 29 | 0.028
4/26/2025 | 11 | 66826 | 11544 | -11124 | 9292 | 4941 | -4761 | 0.141 | 928 | 15 | 0.016
4/26/2025 | 12 | 66046 | 11100 | -10891 | 9899 | 4751 | -4662 | 0.151 | 934 | 0 | 0
4/26/2025 | 13 | 65330 | 11049 | -11058 | 10083 | 4729 | -4733 | 0.154 | 138 | 0 | 0
4/26/2025 | 14 | 64071 | 11085 | -11010 | 9774 | 4745 | -4713 | 0.153 | 0 | 0 | 0
4/26/2025 | 15 | 64568 | 11360 | -11229 | 9567 | 4862 | -4806 | 0.149 | 0 | 0 | 0
4/26/2025 | 16 | 66370 | 11281 | -11183 | 9851 | 4828 | -4786 | 0.149 | 23 | 0 | 0
4/26/2025 | 17 | 68587 | 12229 | -12393 | 10507 | 5234 | -5304 | 0.153 | 5 | 0 | 0
4/26/2025 | 18 | 71543 | 12475 | -12193 | 11735 | 5339 | -5219 | 0.165 | 665 | 4 | 0.006
4/26/2025 | 19 | 72789 | 14380 | -13579 | 13583 | 6155 | -5812 | 0.189 | 745 | 1 | 0.001
4/26/2025 | 20 | 74053 | 15077 | -14206 | 14219 | 6453 | -6080 | 0.195 | 788 | 41 | 0.052
4/26/2025 | 21 | 74213 | 14641 | -13823 | 14522 | 6266 | -5916 | 0.198 | 962 | 29 | 0.03
4/26/2025 | 22 | 72230 | 14522 | -13682 | 14743 | 6216 | -5856 | 0.207 | 874 | 9 | 0.01
4/26/2025 | 23 | 68262 | 14280 | -12604 | 14442 | 6112 | -5395 | 0.217 | 623 | 40 | 0.064
4/26/2025 | 24 | 65219 | 13952 | -12148 | 14563 | 5972 | -5199 | 0.229 | 1423 | 245 | 0.172
4/27/2025 | 1 | 63555 | 13346 | -11819 | 14614 | 5712 | -5058 | 0.235 | 980 | 90 | 0.092
4/27/2025 | 2 | 61421 | 13030 | -11551 | 14434 | 5577 | -4944 | 0.24 | 872 | 105 | 0.12
4/27/2025 | 3 | 59716 | 13230 | -11729 | 13943 | 5662 | -5020 | 0.238 | 723 | 61 | 0.084
4/27/2025 | 4 | 59216 | 13401 | -11961 | 13770 | 5736 | -5119 | 0.237 | 737 | 49 | 0.066
4/27/2025 | 5 | 59431 | 13774 | -12177 | 14428 | 5895 | -5212 | 0.248 | 1310 | 199 | 0.152
4/27/2025 | 6 | 59938 | 14364 | -12310 | 13901 | 6148 | -5269 | 0.238 | 718 | 9 | 0.013
4/27/2025 | 7 | 60801 | 12844 | -11102 | 12701 | 5497 | -4752 | 0.215 | 834 | 62 | 0.074
4/27/2025 | 8 | 61651 | 10813 | -9601 | 9638 | 4628 | -4109 | 0.162 | 1006 | 128 | 0.127
4/27/2025 | 9 | 62481 | 10012 | -9390 | 8790 | 4285 | -4019 | 0.144 | 317 | 0 | 0
4/27/2025 | 10 | 63069 | 11027 | -10235 | 8310 | 4719 | -4381 | 0.135 | 9 | 0 | 0
4/27/2025 | 11 | 62756 | 11317 | -10511 | 8146 | 4844 | -4499 | 0.134 | 339 | 0 | 0
4/27/2025 | 12 | 63216 | 11240 | -10938 | 7782 | 4811 | -4682 | 0.125 | 24 | 0 | 0
4/27/2025 | 13 | 63660 | 11359 | -11088 | 7822 | 4861 | -4745 | 0.124 | 18 | 0 | 0
4/27/2025 | 14 | 63628 | 11751 | -11347 | 7906 | 5030 | -4856 | 0.126 | 369 | 0 | 0
4/27/2025 | 15 | 64358 | 11684 | -11340 | 7983 | 5001 | -4854 | 0.126 | 0 | 0 | 0
4/27/2025 | 16 | 65395 | 11395 | -11177 | 8290 | 4878 | -4784 | 0.128 | 0 | 0 | 0
4/27/2025 | 17 | 66950 | 11490 | -11356 | 8676 | 4918 | -4860 | 0.13 | 763 | 14 | 0.018
4/27/2025 | 18 | 71100 | 10290 | -10081 | 10527 | 4404 | -4314 | 0.149 | 688 | 26 | 0.038
4/27/2025 | 19 | 72864 | 11750 | -10853 | 12238 | 5029 | -4645 | 0.171 | 914 | 72 | 0.079
4/27/2025 | 20 | 74455 | 12391 | -11452 | 13040 | 5303 | -4902 | 0.178 | 1291 | 221 | 0.171
4/27/2025 | 21 | 74850 | 12629 | -11700 | 13301 | 5405 | -5008 | 0.181 | 899 | 115 | 0.128
4/27/2025 | 22 | 72993 | 12346 | -11504 | 13895 | 5284 | -4923 | 0.193 | 918 | 132 | 0.144
4/27/2025 | 23 | 68287 | 13949 | -12733 | 13660 | 5970 | -5450 | 0.204 | 548 | 30 | 0.055
4/27/2025 | 24 | 64497 | 13284 | -12584 | 13170 | 5685 | -5386 | 0.207 | 386 | 33 | 0.085
4/28/2025 | 1 | 62684 | 14297 | -13489 | 13133 | 6119 | -5773 | 0.212 | 555 | 17 | 0.031
4/28/2025 | 2 | 61061 | 13876 | -12906 | 13586 | 5939 | -5524 | 0.226 | 663 | 81 | 0.122
4/28/2025 | 3 | 59460 | 13845 | -12711 | 12971 | 5926 | -5440 | 0.222 | 689 | 104 | 0.151
4/28/2025 | 4 | 59903 | 13876 | -13164 | 12707 | 5939 | -5634 | 0.215 | 490 | 37 | 0.076
4/28/2025 | 5 | 61628 | 13677 | -12965 | 12576 | 5854 | -5549 | 0.207 | 513 | 3 | 0.006
4/28/2025 | 6 | 66440 | 14217 | -13610 | 13984 | 6085 | -5825 | 0.212 | 523 | 9 | 0.017
4/28/2025 | 7 | 71632 | 13631 | -13403 | 13332 | 5834 | -5737 | 0.187 | 1020 | 176 | 0.173
4/28/2025 | 8 | 73836 | 12455 | -12510 | 11420 | 5331 | -5354 | 0.154 | 370 | 42 | 0.114
4/28/2025 | 9 | 72510 | 11342 | -11542 | 9204 | 4855 | -4940 | 0.126 | 0 | 0 | 0
4/28/2025 | 10 | 70974 | 11566 | -11754 | 8488 | 4950 | -5031 | 0.119 | 0 | 0 | 0
4/28/2025 | 11 | 68984 | 11706 | -11829 | 8345 | 5010 | -5063 | 0.12 | 0 | 0 | 0
4/28/2025 | 12 | 67715 | 11516 | -11532 | 8347 | 4929 | -4936 | 0.123 | 0 | 0 | 0
4/28/2025 | 13 | 66561 | 11886 | -11728 | 8214 | 5088 | -5019 | 0.124 | 0 | 0 | 0
4/28/2025 | 14 | 66380 | 12116 | -11926 | 8396 | 5186 | -5104 | 0.127 | 3 | 0 | 0
4/28/2025 | 15 | 66774 | 12769 | -12822 | 8727 | 5466 | -5488 | 0.13 | 0 | 0 | 0
4/28/2025 | 16 | 67941 | 13009 | -12695 | 9066 | 5568 | -5433 | 0.135 | 0 | 0 | 0
4/28/2025 | 17 | 70010 | 13601 | -13193 | 10065 | 5821 | -5647 | 0.145 | 0 | 0 | 0
4/28/2025 | 18 | 73603 | 12903 | -12025 | 11103 | 5523 | -5147 | 0.154 | 0 | 0 | 0
4/28/2025 | 19 | 76546 | 15610 | -13937 | 13667 | 6681 | -5965 | 0.184 | 26 | 0 | 0
4/28/2025 | 20 | 78148 | 16914 | -15046 | 15434 | 7239 | -6440 | 0.203 | 702 | 0 | 0
4/28/2025 | 21 | 78187 | 16974 | -14790 | 15629 | 7265 | -6330 | 0.206 | 860 | 18 | 0.021
4/28/2025 | 22 | 75203 | 16710 | -14689 | 15520 | 7152 | -6287 | 0.212 | 1098 | 88 | 0.08
4/28/2025 | 23 | 70055 | 15557 | -13072 | 15636 | 6658 | -5595 | 0.23 | 1030 | 200 | 0.194
4/28/2025 | 24 | 65532 | 15323 | -12858 | 15500 | 6558 | -5503 | 0.243 | 1058 | 184 | 0.174
4/29/2025 | 1 | 63017 | 15062 | -12771 | 15492 | 6446 | -5466 | 0.252 | 626 | 63 | 0.101
4/29/2025 | 2 | 60914 | 15272 | -12938 | 15226 | 6536 | -5537 | 0.257 | 796 | 144 | 0.181
4/29/2025 | 3 | 59870 | 14966 | -13002 | 14893 | 6405 | -5565 | 0.254 | 522 | 94 | 0.18
4/29/2025 | 4 | 59963 | 15221 | -13196 | 14463 | 6515 | -5648 | 0.247 | 658 | 142 | 0.216
4/29/2025 | 5 | 61937 | 15386 | -13519 | 14482 | 6586 | -5786 | 0.24 | 598 | 124 | 0.207
4/29/2025 | 6 | 65904 | 15296 | -13881 | 14523 | 6547 | -5941 | 0.225 | 351 | 9 | 0.026
4/29/2025 | 7 | 70733 | 15910 | -14740 | 13914 | 6809 | -6308 | 0.2 | 692 | 57 | 0.082
4/29/2025 | 8 | 73277 | 11797 | -11238 | 11409 | 5049 | -4810 | 0.158 | 438 | 88 | 0.201
4/29/2025 | 9 | 71836 | 11008 | -11032 | 9430 | 4711 | -4722 | 0.131 | 0 | 0 | 0
4/29/2025 | 10 | 69879 | 11290 | -11677 | 9234 | 4832 | -4997 | 0.131 | 0 | 0 | 0
4/29/2025 | 11 | 68300 | 10551 | -11237 | 9056 | 4516 | -4809 | 0.13 | 0 | 0 | 0
4/29/2025 | 12 | 66830 | 10653 | -11134 | 8896 | 4559 | -4765 | 0.131 | 0 | 0 | 0
4/29/2025 | 13 | 66414 | 10883 | -11241 | 8987 | 4658 | -4811 | 0.134 | 0 | 0 | 0
4/29/2025 | 14 | 67300 | 10956 | -11499 | 8823 | 4689 | -4922 | 0.129 | 0 | 0 | 0
4/29/2025 | 15 | 68444 | 11341 | -11794 | 8977 | 4854 | -5048 | 0.129 | 0 | 0 | 0
4/29/2025 | 16 | 70735 | 11779 | -12485 | 9195 | 5042 | -5343 | 0.127 | 0 | 0 | 0
4/29/2025 | 17 | 73661 | 12537 | -13278 | 9874 | 5366 | -5683 | 0.131 | 0 | 0 | 0
4/29/2025 | 18 | 77742 | 13155 | -13387 | 11236 | 5630 | -5730 | 0.144 | 0 | 0 | 0
4/29/2025 | 19 | 79552 | 15511 | -14456 | 13317 | 6639 | -6187 | 0.171 | 320 | 7 | 0.022
4/29/2025 | 20 | 80753 | 15766 | -14647 | 15269 | 6748 | -6269 | 0.192 | 1208 | 166 | 0.137
4/29/2025 | 21 | 80455 | 15044 | -13758 | 15479 | 6439 | -5889 | 0.196 | 1361 | 122 | 0.09
4/29/2025 | 22 | 77476 | 14237 | -12773 | 15562 | 6094 | -5467 | 0.205 | 1389 | 146 | 0.105
4/29/2025 | 23 | 72588 | 14374 | -12696 | 15281 | 6152 | -5434 | 0.215 | 1609 | 285 | 0.177
4/29/2025 | 24 | 67598 | 13947 | -12221 | 15006 | 5969 | -5230 | 0.227 | 1851 | 444 | 0.24
4/30/2025 | 1 | 64240 | 14038 | -11946 | 14353 | 6008 | -5113 | 0.23 | 1966 | 496 | 0.252
4/30/2025 | 2 | 62316 | 13533 | -11394 | 13700 | 5792 | -4877 | 0.227 | 1898 | 444 | 0.234
4/30/2025 | 3 | 61191 | 13382 | -11410 | 13654 | 5728 | -4883 | 0.23 | 2002 | 462 | 0.231
4/30/2025 | 4 | 60964 | 13682 | -11684 | 13771 | 5856 | -5001 | 0.232 | 1330 | 200 | 0.15
4/30/2025 | 5 | 62990 | 14247 | -12590 | 14060 | 6098 | -5389 | 0.228 | 1180 | 170 | 0.144
4/30/2025 | 6 | 67176 | 13279 | -11876 | 14693 | 5683 | -5083 | 0.223 | 588 | 52 | 0.088
4/30/2025 | 7 | 71584 | 13630 | -12536 | 14112 | 5834 | -5366 | 0.201 | 1088 | 209 | 0.192
4/30/2025 | 8 | 74493 | 11458 | -10843 | 12427 | 4904 | -4641 | 0.169 | 748 | 179 | 0.239
4/30/2025 | 9 | 74104 | 10501 | -10408 | 10463 | 4494 | -4454 | 0.142 | 76 | 0 | 0
4/30/2025 | 10 | 72947 | 10446 | -10540 | 10059 | 4471 | -4511 | 0.138 | 0 | 0 | 0
4/30/2025 | 11 | 71252 | 10264 | -10440 | 9884 | 4393 | -4468 | 0.138 | 0 | 0 | 0
4/30/2025 | 12 | 68996 | 10215 | -10156 | 9648 | 4372 | -4346 | 0.14 | 0 | 0 | 0
4/30/2025 | 13 | 68005 | 10552 | -10730 | 9738 | 4517 | -4592 | 0.142 | 0 | 0 | 0
4/30/2025 | 14 | 68282 | 10320 | -10497 | 9574 | 4417 | -4493 | 0.139 | 0 | 0 | 0
4/30/2025 | 15 | 70228 | 10370 | -10491 | 10250 | 4438 | -4490 | 0.145 | 0 | 0 | 0
4/30/2025 | 16 | 72313 | 11046 | -10804 | 10827 | 4728 | -4624 | 0.151 | 0 | 0 | 0
4/30/2025 | 17 | 74834 | 11231 | -10958 | 11479 | 4807 | -4690 | 0.154 | 0 | 0 | 0
4/30/2025 | 18 | 77778 | 10701 | -9996 | 13107 | 4580 | -4278 | 0.171 | 0 | 0 | 0
4/30/2025 | 19 | 80951 | 12988 | -12098 | 15945 | 5559 | -5178 | 0.199 | 106 | 0 | 0
4/30/2025 | 20 | 81586 | 13236 | -12544 | 17734 | 5665 | -5369 | 0.219 | 710 | 49 | 0.069
4/30/2025 | 21 | 80945 | 12915 | -11880 | 18160 | 5528 | -5085 | 0.227 | 1012 | 223 | 0.22
4/30/2025 | 22 | 78572 | 12553 | -11304 | 18099 | 5373 | -4838 | 0.233 | 1272 | 196 | 0.154
4/30/2025 | 23 | 73164 | 10415 | -9069 | 17962 | 4458 | -3882 | 0.249 | 803 | 122 | 0.152
4/30/2025 | 24 | 68375 | 10177 | -8731 | 17717 | 4356 | -3737 | 0.263 | 1219 | 189 | 0.155