## KEY
Average Emissions Rate Calculation
Background:
The CAISO is publishing this metric of an average emissions rate (AER) based on the discussion in the GHG working groups. CAISO discussed the metric at the November 27, 2023 GHG Coordination Working Group. A brief explanation of the methodology is included below:
Methodology:
1) Which resources are reflected in this example AER metric (all schedules are from the 5-minute market)
- All supply resources are included
- All demand response resources are excluded
- All energy storage resources are included (emissions rate used is 0 MTCO2e/MWh)
- Resources that were attributed to serve California are included
2) The AER measures all schedules ie. The total dispatach of the resources and not relative to WEIM base schedule
3) Bilateral transactions are included (emissions rate used is 0.428 MTCO2e/MWh) unless they are resource specific.
4) CAISO filled in missing heat rate and emissions rate data by using wtd averages from existing data
Key
TRADE_DT | Trade date of the reported data in MM/DD/YYYY format
TRADE_HR | Trade hour of the reported data. Data is reported as the "hour-ending", e.g. TRADE_HR = 2 is for the hour-ending 1:59:59AM Pacific time
GEN_MWH | MWh of electricity generation in the WEIM area* (including CAISO)
IMP_MWH | MWh of electricity imports into the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
EXP_MWH | MWh of electricity exports from the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
GEN_GHG | Greenhouse gas emissions in MTCO2e of electricity generation in the WEIM area
IMP_GHG | Greenhouse gas emissions in MTCO2e of electricity imports into the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
EXP_GHG | Greenhouse gas emissions in MTCO2e of electricity exports from the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
AVG_EM_RATE | Average emissions rate calculated as columns G through I divided by columns C through E
ATTR_MWH | MWh of WEIM transfers into California which, by definition, is equal to the sum of the GHG attributions
ATTR_GHG | Greenhouse gas emissions in MTCO2e of WEIM transfers into California (resource-specific)
ATTR_AVG_EM_RATE | Average emissions rate of WEIM transfers into California
CAISO PUBLIC

## AER_SUMMARY
TRADE_DT | TRADE_HR | GEN_MWH | IMP_MWH | EXP_MWH | GEN_GHG | IMP_GHG | EXP_GHG | AVG_EM_RATE | ATTR_MWH | ATTR_GHG | ATTR_AVG_EM_RATE
4/1/2026 | 1 | 70129 | 15210 | -13407 | 14241 | 6510 | -5738 | 0.209 | 984 | 141 | 0.143
4/1/2026 | 2 | 68020 | 15024 | -13225 | 13977 | 6430 | -5660 | 0.211 | 811 | 119 | 0.147
4/1/2026 | 3 | 66756 | 14781 | -13079 | 13402 | 6326 | -5598 | 0.206 | 750 | 118 | 0.157
4/1/2026 | 4 | 66594 | 15008 | -13424 | 13348 | 6424 | -5745 | 0.206 | 569 | 49 | 0.086
4/1/2026 | 5 | 68304 | 14855 | -13238 | 13690 | 6358 | -5666 | 0.206 | 225 | 15 | 0.067
4/1/2026 | 6 | 71931 | 15685 | -13940 | 14078 | 6714 | -5967 | 0.201 | 736 | 44 | 0.06
4/1/2026 | 7 | 76909 | 14129 | -12616 | 14407 | 6047 | -5400 | 0.192 | 438 | 23 | 0.053
4/1/2026 | 8 | 79886 | 11687 | -10648 | 13474 | 5002 | -4557 | 0.172 | 0 | 0 | 0
4/1/2026 | 9 | 80986 | 8817 | -9089 | 11252 | 3774 | -3890 | 0.138 | 0 | 0 | 0
4/1/2026 | 10 | 81390 | 7816 | -8563 | 9374 | 3345 | -3665 | 0.112 | 0 | 0 | 0
4/1/2026 | 11 | 80386 | 7902 | -8446 | 8810 | 3382 | -3615 | 0.107 | 0 | 0 | 0
4/1/2026 | 12 | 79647 | 7988 | -8652 | 8929 | 3419 | -3703 | 0.109 | 0 | 0 | 0
4/1/2026 | 13 | 78470 | 7981 | -8481 | 8616 | 3416 | -3630 | 0.108 | 0 | 0 | 0
4/1/2026 | 14 | 77904 | 8166 | -8633 | 8492 | 3495 | -3695 | 0.107 | 0 | 0 | 0
4/1/2026 | 15 | 78763 | 7826 | -8272 | 8136 | 3350 | -3541 | 0.101 | 0 | 0 | 0
4/1/2026 | 16 | 79492 | 8339 | -8731 | 8080 | 3569 | -3737 | 0.1 | 0 | 0 | 0
4/1/2026 | 17 | 81418 | 9346 | -9697 | 8510 | 4000 | -4150 | 0.103 | 0 | 0 | 0
4/1/2026 | 18 | 84772 | 10747 | -10774 | 9945 | 4600 | -4611 | 0.117 | 0 | 0 | 0
4/1/2026 | 19 | 85630 | 14384 | -13569 | 12070 | 6156 | -5808 | 0.144 | 332 | 0 | 0
4/1/2026 | 20 | 86970 | 15384 | -14531 | 12474 | 6584 | -6219 | 0.146 | 342 | 0 | 0
4/1/2026 | 21 | 86014 | 14779 | -14105 | 12151 | 6326 | -6037 | 0.144 | 605 | 11 | 0.018
4/1/2026 | 22 | 83355 | 14841 | -14598 | 11780 | 6352 | -6248 | 0.142 | 527 | 0 | 0
4/1/2026 | 23 | 78642 | 15859 | -15376 | 11463 | 6788 | -6581 | 0.147 | 335 | 2 | 0.006
4/1/2026 | 24 | 73580 | 16330 | -15427 | 11062 | 6989 | -6603 | 0.154 | 1061 | 23 | 0.022
4/2/2026 | 1 | 71609 | 15500 | -15017 | 10581 | 6634 | -6427 | 0.15 | 1025 | 140 | 0.137
4/2/2026 | 2 | 69461 | 15282 | -14728 | 10075 | 6541 | -6304 | 0.147 | 1083 | 158 | 0.146
4/2/2026 | 3 | 67974 | 15296 | -14970 | 9186 | 6547 | -6407 | 0.137 | 664 | 134 | 0.202
4/2/2026 | 4 | 67889 | 14955 | -14731 | 9283 | 6401 | -6305 | 0.138 | 1012 | 132 | 0.13
4/2/2026 | 5 | 69324 | 15122 | -14858 | 9440 | 6472 | -6359 | 0.137 | 537 | 124 | 0.231
4/2/2026 | 6 | 73459 | 14939 | -14776 | 9814 | 6394 | -6324 | 0.134 | 782 | 117 | 0.15
4/2/2026 | 7 | 78747 | 13603 | -13250 | 10358 | 5822 | -5671 | 0.133 | 691 | 94 | 0.136
4/2/2026 | 8 | 81857 | 13210 | -13051 | 8988 | 5654 | -5586 | 0.11 | 143 | 18 | 0.126
4/2/2026 | 9 | 82469 | 10984 | -11267 | 7904 | 4701 | -4822 | 0.095 | 0 | 0 | 0
4/2/2026 | 10 | 80558 | 9998 | -10509 | 7160 | 4279 | -4498 | 0.087 | 0 | 0 | 0
4/2/2026 | 11 | 78430 | 9197 | -9791 | 6610 | 3936 | -4190 | 0.082 | 0 | 0 | 0
4/2/2026 | 12 | 76277 | 9029 | -9717 | 6614 | 3864 | -4159 | 0.084 | 0 | 0 | 0
4/2/2026 | 13 | 74742 | 9633 | -10267 | 6365 | 4123 | -4394 | 0.082 | 0 | 0 | 0
4/2/2026 | 14 | 73886 | 9628 | -9995 | 6129 | 4121 | -4278 | 0.081 | 0 | 0 | 0
4/2/2026 | 15 | 73087 | 9380 | -10378 | 6156 | 4015 | -4442 | 0.079 | 0 | 0 | 0
4/2/2026 | 16 | 74625 | 9588 | -10675 | 6329 | 4104 | -4569 | 0.08 | 0 | 0 | 0
4/2/2026 | 17 | 76970 | 10037 | -10962 | 6915 | 4296 | -4692 | 0.086 | 0 | 0 | 0
4/2/2026 | 18 | 78707 | 11041 | -11050 | 7193 | 4726 | -4730 | 0.091 | 0 | 0 | 0
4/2/2026 | 19 | 82365 | 14667 | -14273 | 8649 | 6278 | -6109 | 0.107 | 0 | 0 | 0
4/2/2026 | 20 | 85034 | 15475 | -14922 | 8920 | 6623 | -6387 | 0.107 | 716 | 76 | 0.106
4/2/2026 | 21 | 84297 | 15656 | -14875 | 8853 | 6701 | -6366 | 0.108 | 301 | 31 | 0.103
4/2/2026 | 22 | 82318 | 15159 | -14374 | 8876 | 6488 | -6152 | 0.111 | 789 | 81 | 0.103
4/2/2026 | 23 | 78331 | 16467 | -15422 | 9085 | 7048 | -6600 | 0.12 | 305 | 38 | 0.125
4/2/2026 | 24 | 74012 | 16671 | -15313 | 9269 | 7135 | -6554 | 0.131 | 544 | 57 | 0.105
4/3/2026 | 1 | 71011 | 15762 | -14554 | 9342 | 6746 | -6229 | 0.137 | 1130 | 112 | 0.099
4/3/2026 | 2 | 69035 | 15722 | -14664 | 9065 | 6729 | -6276 | 0.136 | 1109 | 107 | 0.096
4/3/2026 | 3 | 67772 | 15809 | -14780 | 8884 | 6766 | -6326 | 0.136 | 1428 | 213 | 0.149
4/3/2026 | 4 | 67668 | 15462 | -14592 | 8863 | 6618 | -6245 | 0.135 | 1096 | 107 | 0.098
4/3/2026 | 5 | 68544 | 15525 | -14477 | 8838 | 6645 | -6196 | 0.133 | 1050 | 108 | 0.103
4/3/2026 | 6 | 72231 | 14885 | -13763 | 9265 | 6371 | -5890 | 0.133 | 884 | 108 | 0.122
4/3/2026 | 7 | 76735 | 13182 | -12332 | 9253 | 5642 | -5278 | 0.124 | 888 | 107 | 0.12
4/3/2026 | 8 | 77813 | 13090 | -12302 | 8071 | 5602 | -5265 | 0.107 | 422 | 68 | 0.161
4/3/2026 | 9 | 76452 | 9530 | -9732 | 6917 | 4079 | -4165 | 0.09 | 0 | 0 | 0
4/3/2026 | 10 | 74234 | 8846 | -9265 | 6762 | 3786 | -3966 | 0.089 | 0 | 0 | 0
4/3/2026 | 11 | 71230 | 8063 | -8452 | 6430 | 3451 | -3617 | 0.088 | 0 | 0 | 0
4/3/2026 | 12 | 69123 | 7860 | -8101 | 6320 | 3364 | -3468 | 0.09 | 0 | 0 | 0
4/3/2026 | 13 | 67644 | 7692 | -7787 | 6255 | 3292 | -3333 | 0.092 | 160 | 51 | 0.319
4/3/2026 | 14 | 67242 | 7675 | -7776 | 6106 | 3285 | -3328 | 0.09 | 448 | 111 | 0.248
4/3/2026 | 15 | 68429 | 7846 | -7929 | 6140 | 3358 | -3393 | 0.089 | 775 | 213 | 0.275
4/3/2026 | 16 | 70491 | 8572 | -8473 | 6349 | 3669 | -3627 | 0.091 | 39 | 9 | 0.231
4/3/2026 | 17 | 73549 | 9984 | -9601 | 6749 | 4273 | -4109 | 0.094 | 29 | 5 | 0.172
4/3/2026 | 18 | 76849 | 11045 | -10088 | 7501 | 4727 | -4318 | 0.102 | 328 | 57 | 0.174
4/3/2026 | 19 | 79289 | 14549 | -13092 | 9458 | 6227 | -5604 | 0.125 | 770 | 83 | 0.108
4/3/2026 | 20 | 80866 | 14646 | -12962 | 10505 | 6269 | -5548 | 0.136 | 1345 | 43 | 0.032
4/3/2026 | 21 | 80040 | 14680 | -13177 | 10513 | 6283 | -5640 | 0.137 | 1177 | 64 | 0.054
4/3/2026 | 22 | 77831 | 15404 | -13573 | 10215 | 6593 | -5809 | 0.138 | 870 | 26 | 0.03
4/3/2026 | 23 | 74092 | 15325 | -13242 | 10618 | 6559 | -5667 | 0.151 | 878 | 13 | 0.015
4/3/2026 | 24 | 70300 | 15026 | -12872 | 10870 | 6431 | -5510 | 0.163 | 790 | 125 | 0.158
4/4/2026 | 1 | 67832 | 14884 | -12649 | 10191 | 6370 | -5414 | 0.159 | 1124 | 133 | 0.118
4/4/2026 | 2 | 65537 | 14640 | -12267 | 10287 | 6266 | -5250 | 0.166 | 1195 | 127 | 0.106
4/4/2026 | 3 | 63909 | 14445 | -12092 | 10056 | 6182 | -5176 | 0.167 | 1202 | 125 | 0.104
4/4/2026 | 4 | 63258 | 14211 | -11743 | 10446 | 6082 | -5026 | 0.175 | 1424 | 137 | 0.096
4/4/2026 | 5 | 63539 | 14174 | -11617 | 10228 | 6066 | -4972 | 0.171 | 1335 | 153 | 0.115
4/4/2026 | 6 | 65378 | 14242 | -11690 | 10472 | 6095 | -5003 | 0.17 | 1003 | 144 | 0.144
4/4/2026 | 7 | 67864 | 12992 | -10604 | 10527 | 5560 | -4538 | 0.164 | 955 | 133 | 0.139
4/4/2026 | 8 | 68771 | 11352 | -9148 | 8086 | 4859 | -3915 | 0.127 | 486 | 82 | 0.169
4/4/2026 | 9 | 69039 | 8617 | -7483 | 6508 | 3688 | -3203 | 0.1 | 0 | 0 | 0
4/4/2026 | 10 | 66655 | 8251 | -7269 | 6304 | 3532 | -3111 | 0.099 | 0 | 0 | 0
4/4/2026 | 11 | 63546 | 8097 | -7094 | 6167 | 3465 | -3036 | 0.102 | 0 | 0 | 0
4/4/2026 | 12 | 62230 | 8216 | -7231 | 6146 | 3516 | -3095 | 0.104 | 0 | 0 | 0
4/4/2026 | 13 | 61140 | 8307 | -7391 | 6203 | 3555 | -3163 | 0.106 | 0 | 0 | 0
4/4/2026 | 14 | 61721 | 7912 | -7001 | 6336 | 3386 | -2996 | 0.107 | 0 | 0 | 0
4/4/2026 | 15 | 63963 | 7775 | -6916 | 6477 | 3327 | -2960 | 0.106 | 0 | 0 | 0
4/4/2026 | 16 | 66920 | 8210 | -7310 | 6701 | 3513 | -3128 | 0.104 | 0 | 0 | 0
4/4/2026 | 17 | 71470 | 8860 | -7924 | 7350 | 3792 | -3392 | 0.107 | 0 | 0 | 0
4/4/2026 | 18 | 76354 | 10297 | -9035 | 8968 | 4407 | -3867 | 0.123 | 297 | 38 | 0.128
4/4/2026 | 19 | 78455 | 14311 | -12678 | 11503 | 6125 | -5426 | 0.152 | 752 | 0 | 0
4/4/2026 | 20 | 79373 | 14554 | -12904 | 12924 | 6229 | -5523 | 0.168 | 1038 | 0 | 0
4/4/2026 | 21 | 78054 | 14241 | -12414 | 12970 | 6095 | -5313 | 0.172 | 1153 | 2 | 0.002
4/4/2026 | 22 | 75302 | 14486 | -12420 | 12923 | 6200 | -5316 | 0.178 | 993 | 21 | 0.021
4/4/2026 | 23 | 71530 | 15066 | -12744 | 13089 | 6448 | -5454 | 0.191 | 839 | 0 | 0
4/4/2026 | 24 | 67386 | 14742 | -12336 | 13190 | 6310 | -5280 | 0.204 | 928 | 3 | 0.003
4/5/2026 | 1 | 64957 | 15181 | -12655 | 13182 | 6498 | -5416 | 0.211 | 1561 | 278 | 0.178
4/5/2026 | 2 | 62966 | 15335 | -12715 | 13190 | 6563 | -5442 | 0.218 | 1949 | 414 | 0.212
4/5/2026 | 3 | 61444 | 15754 | -13252 | 13083 | 6743 | -5672 | 0.221 | 2023 | 389 | 0.192
4/5/2026 | 4 | 60943 | 15430 | -13080 | 13070 | 6604 | -5598 | 0.222 | 2014 | 293 | 0.145
4/5/2026 | 5 | 61279 | 15600 | -13326 | 13162 | 6677 | -5703 | 0.222 | 1583 | 280 | 0.177
4/5/2026 | 6 | 62548 | 14971 | -12931 | 13369 | 6408 | -5534 | 0.221 | 1915 | 378 | 0.197
4/5/2026 | 7 | 64467 | 14515 | -12658 | 12808 | 6212 | -5418 | 0.205 | 1723 | 391 | 0.227
4/5/2026 | 8 | 65526 | 13196 | -11793 | 9213 | 5648 | -5048 | 0.147 | 488 | 43 | 0.088
4/5/2026 | 9 | 66018 | 10052 | -9518 | 7021 | 4302 | -4074 | 0.109 | 0 | 0 | 0
4/5/2026 | 10 | 64483 | 9732 | -9368 | 6662 | 4166 | -4010 | 0.105 | 0 | 0 | 0
4/5/2026 | 11 | 62991 | 9678 | -9469 | 6592 | 4142 | -4053 | 0.106 | 0 | 0 | 0
4/5/2026 | 12 | 62142 | 9699 | -9673 | 6526 | 4151 | -4140 | 0.105 | 0 | 0 | 0
4/5/2026 | 13 | 61774 | 9702 | -9829 | 6612 | 4152 | -4207 | 0.106 | 0 | 0 | 0
4/5/2026 | 14 | 62644 | 10414 | -10344 | 6624 | 4457 | -4427 | 0.106 | 0 | 0 | 0
4/5/2026 | 15 | 64683 | 10695 | -10549 | 6674 | 4577 | -4515 | 0.104 | 0 | 0 | 0
4/5/2026 | 16 | 68833 | 10808 | -10408 | 6872 | 4626 | -4455 | 0.102 | 0 | 0 | 0
4/5/2026 | 17 | 72738 | 11083 | -10249 | 7565 | 4743 | -4387 | 0.108 | 0 | 0 | 0
4/5/2026 | 18 | 77638 | 12094 | -10763 | 9808 | 5176 | -4606 | 0.131 | 1 | 0 | 0
4/5/2026 | 19 | 79872 | 14425 | -12390 | 12527 | 6174 | -5303 | 0.164 | 403 | 0 | 0
4/5/2026 | 20 | 79078 | 13523 | -11405 | 13263 | 5788 | -4881 | 0.175 | 396 | 0 | 0
4/5/2026 | 21 | 79104 | 13389 | -11294 | 13225 | 5730 | -4834 | 0.174 | 862 | 3 | 0.003
4/5/2026 | 22 | 76180 | 13972 | -11696 | 12958 | 5980 | -5006 | 0.178 | 1403 | 45 | 0.032
4/5/2026 | 23 | 72124 | 13917 | -11584 | 12859 | 5956 | -4958 | 0.186 | 1647 | 104 | 0.063
4/5/2026 | 24 | 67454 | 14028 | -11438 | 12688 | 6004 | -4895 | 0.197 | 1621 | 100 | 0.062
4/6/2026 | 1 | 64610 | 15934 | -13369 | 12396 | 6820 | -5722 | 0.201 | 1856 | 280 | 0.151
4/6/2026 | 2 | 62603 | 15832 | -13194 | 12312 | 6776 | -5647 | 0.206 | 1504 | 108 | 0.072
4/6/2026 | 3 | 61105 | 15591 | -12898 | 12312 | 6673 | -5520 | 0.211 | 1355 | 93 | 0.069
4/6/2026 | 4 | 61214 | 15472 | -12961 | 12762 | 6622 | -5547 | 0.217 | 1610 | 206 | 0.128
4/6/2026 | 5 | 63054 | 15316 | -12896 | 12878 | 6555 | -5519 | 0.213 | 1287 | 52 | 0.04
4/6/2026 | 6 | 66944 | 15559 | -13005 | 13158 | 6659 | -5566 | 0.205 | 869 | 0 | 0
4/6/2026 | 7 | 71847 | 14648 | -12248 | 13351 | 6270 | -5242 | 0.194 | 731 | 14 | 0.019
4/6/2026 | 8 | 74644 | 13903 | -11699 | 12826 | 5951 | -5007 | 0.179 | 1460 | 405 | 0.277
4/6/2026 | 9 | 75129 | 11205 | -9362 | 11364 | 4796 | -4007 | 0.158 | 1017 | 147 | 0.145
4/6/2026 | 10 | 73982 | 10022 | -8275 | 9874 | 4289 | -3542 | 0.14 | 700 | 102 | 0.146
4/6/2026 | 11 | 72298 | 10006 | -8438 | 9239 | 4282 | -3612 | 0.134 | 38 | 8 | 0.211
4/6/2026 | 12 | 70528 | 9736 | -8333 | 9090 | 4167 | -3566 | 0.135 | 28 | 5 | 0.179
4/6/2026 | 13 | 69782 | 10084 | -8756 | 9025 | 4316 | -3747 | 0.135 | 305 | 75 | 0.246
4/6/2026 | 14 | 70361 | 10166 | -8858 | 8705 | 4352 | -3791 | 0.129 | 0 | 0 | 0
4/6/2026 | 15 | 71569 | 10595 | -9261 | 9133 | 4535 | -3964 | 0.133 | 265 | 48 | 0.181
4/6/2026 | 16 | 74625 | 11402 | -9951 | 9385 | 4880 | -4259 | 0.132 | 0 | 0 | 0
4/6/2026 | 17 | 77444 | 12214 | -10551 | 9478 | 5228 | -4516 | 0.129 | 0 | 0 | 0
4/6/2026 | 18 | 80904 | 12774 | -10704 | 10100 | 5467 | -4581 | 0.132 | 0 | 0 | 0
4/6/2026 | 19 | 83035 | 16791 | -14483 | 11330 | 7186 | -6199 | 0.144 | 487 | 56 | 0.115
4/6/2026 | 20 | 84542 | 17999 | -15926 | 11921 | 7703 | -6816 | 0.148 | 911 | 107 | 0.117
4/6/2026 | 21 | 83421 | 18108 | -16111 | 11538 | 7750 | -6896 | 0.145 | 732 | 107 | 0.146
4/6/2026 | 22 | 80420 | 17328 | -15191 | 11589 | 7417 | -6502 | 0.151 | 878 | 107 | 0.122
4/6/2026 | 23 | 75388 | 16931 | -14894 | 11619 | 7246 | -6375 | 0.161 | 877 | 107 | 0.122
4/6/2026 | 24 | 70490 | 16439 | -14537 | 11683 | 7036 | -6222 | 0.173 | 884 | 106 | 0.12
4/7/2026 | 1 | 67102 | 16147 | -14295 | 11409 | 6911 | -6118 | 0.177 | 947 | 107 | 0.113
4/7/2026 | 2 | 65314 | 15760 | -14146 | 11471 | 6745 | -6055 | 0.182 | 954 | 107 | 0.112
4/7/2026 | 3 | 64021 | 15724 | -14128 | 11510 | 6730 | -6047 | 0.186 | 784 | 107 | 0.136
4/7/2026 | 4 | 63621 | 15806 | -14218 | 11644 | 6765 | -6085 | 0.189 | 745 | 109 | 0.146
4/7/2026 | 5 | 65229 | 15577 | -14257 | 11757 | 6667 | -6102 | 0.185 | 699 | 105 | 0.15
4/7/2026 | 6 | 69020 | 15934 | -14340 | 11527 | 6820 | -6137 | 0.173 | 18 | 3 | 0.167
4/7/2026 | 7 | 73566 | 14309 | -12699 | 11713 | 6124 | -5435 | 0.165 | 276 | 42 | 0.152
4/7/2026 | 8 | 75946 | 12237 | -11153 | 9974 | 5237 | -4774 | 0.135 | 269 | 37 | 0.138
4/7/2026 | 9 | 75818 | 9904 | -9632 | 8552 | 4239 | -4123 | 0.114 | 0 | 0 | 0
4/7/2026 | 10 | 74062 | 8803 | -8778 | 8261 | 3768 | -3757 | 0.112 | 0 | 0 | 0
4/7/2026 | 11 | 71872 | 8756 | -8627 | 8385 | 3748 | -3692 | 0.117 | 0 | 0 | 0
4/7/2026 | 12 | 70736 | 8844 | -9000 | 8296 | 3785 | -3852 | 0.117 | 0 | 0 | 0
4/7/2026 | 13 | 70677 | 8362 | -8578 | 8275 | 3579 | -3671 | 0.116 | 0 | 0 | 0
4/7/2026 | 14 | 71755 | 8279 | -8653 | 8201 | 3543 | -3704 | 0.113 | 0 | 0 | 0
4/7/2026 | 15 | 73451 | 8490 | -8968 | 8300 | 3634 | -3839 | 0.111 | 0 | 0 | 0
4/7/2026 | 16 | 76420 | 8999 | -9508 | 8372 | 3852 | -4070 | 0.107 | 0 | 0 | 0
4/7/2026 | 17 | 80634 | 9969 | -10416 | 8844 | 4267 | -4458 | 0.108 | 0 | 0 | 0
4/7/2026 | 18 | 84215 | 11319 | -11083 | 9307 | 4844 | -4743 | 0.111 | 0 | 0 | 0
4/7/2026 | 19 | 86502 | 15379 | -14346 | 10964 | 6582 | -6140 | 0.13 | 463 | 52 | 0.112
4/7/2026 | 20 | 86738 | 15777 | -14513 | 11420 | 6752 | -6212 | 0.136 | 911 | 103 | 0.113
4/7/2026 | 21 | 85538 | 15570 | -13957 | 11160 | 6664 | -5974 | 0.136 | 739 | 103 | 0.139
4/7/2026 | 22 | 81530 | 15961 | -13923 | 11475 | 6831 | -5959 | 0.148 | 977 | 103 | 0.105
4/7/2026 | 23 | 76525 | 15857 | -13801 | 11668 | 6787 | -5907 | 0.16 | 637 | 95 | 0.149
4/7/2026 | 24 | 71533 | 15018 | -12950 | 11749 | 6427 | -5542 | 0.172 | 958 | 101 | 0.105
4/8/2026 | 1 | 68411 | 15342 | -13330 | 11060 | 6566 | -5706 | 0.169 | 1419 | 143 | 0.101
4/8/2026 | 2 | 66190 | 15011 | -13025 | 10691 | 6425 | -5575 | 0.169 | 1269 | 143 | 0.113
4/8/2026 | 3 | 64891 | 15100 | -13282 | 10574 | 6463 | -5685 | 0.17 | 985 | 108 | 0.11
4/8/2026 | 4 | 64732 | 14869 | -13090 | 10937 | 6364 | -5602 | 0.176 | 563 | 108 | 0.192
4/8/2026 | 5 | 66444 | 14696 | -13035 | 11266 | 6290 | -5579 | 0.176 | 462 | 105 | 0.227
4/8/2026 | 6 | 71074 | 14354 | -12989 | 11769 | 6144 | -5559 | 0.171 | 484 | 93 | 0.192
4/8/2026 | 7 | 76755 | 12156 | -11194 | 11802 | 5203 | -4791 | 0.157 | 227 | 18 | 0.079
4/8/2026 | 8 | 79632 | 10322 | -10239 | 10461 | 4418 | -4382 | 0.132 | 333 | 79 | 0.237
4/8/2026 | 9 | 78816 | 9181 | -9632 | 8628 | 3930 | -4122 | 0.108 | 0 | 0 | 0
4/8/2026 | 10 | 76347 | 8714 | -9350 | 7920 | 3730 | -4002 | 0.101 | 0 | 0 | 0
4/8/2026 | 11 | 73507 | 8479 | -8766 | 7705 | 3629 | -3752 | 0.104 | 0 | 0 | 0
4/8/2026 | 12 | 72079 | 8716 | -8922 | 7643 | 3730 | -3818 | 0.105 | 0 | 0 | 0
4/8/2026 | 13 | 72037 | 8723 | -9005 | 7709 | 3733 | -3854 | 0.106 | 0 | 0 | 0
4/8/2026 | 14 | 73455 | 8717 | -9293 | 7933 | 3731 | -3977 | 0.105 | 0 | 0 | 0
4/8/2026 | 15 | 76312 | 8673 | -9399 | 8342 | 3712 | -4023 | 0.106 | 0 | 0 | 0
4/8/2026 | 16 | 79486 | 9386 | -9903 | 8640 | 4017 | -4238 | 0.107 | 0 | 0 | 0
4/8/2026 | 17 | 83730 | 9850 | -10505 | 9206 | 4216 | -4496 | 0.107 | 0 | 0 | 0
4/8/2026 | 18 | 87549 | 10192 | -10636 | 10772 | 4362 | -4552 | 0.121 | 0 | 0 | 0
4/8/2026 | 19 | 89444 | 14145 | -13813 | 13609 | 6054 | -5912 | 0.153 | 621 | 39 | 0.063
4/8/2026 | 20 | 88891 | 15084 | -14226 | 14349 | 6456 | -6088 | 0.164 | 426 | 0 | 0
4/8/2026 | 21 | 87168 | 14394 | -13359 | 14123 | 6160 | -5718 | 0.165 | 537 | 0 | 0
4/8/2026 | 22 | 83871 | 14100 | -13240 | 13735 | 6035 | -5667 | 0.166 | 408 | 36 | 0.088
4/8/2026 | 23 | 78462 | 15235 | -14344 | 13665 | 6520 | -6139 | 0.177 | 488 | 39 | 0.08
4/8/2026 | 24 | 73248 | 15224 | -14168 | 13443 | 6516 | -6064 | 0.187 | 522 | 46 | 0.088
4/9/2026 | 1 | 69866 | 14085 | -12975 | 13488 | 6028 | -5553 | 0.197 | 624 | 86 | 0.138
4/9/2026 | 2 | 67614 | 13825 | -13037 | 13429 | 5917 | -5580 | 0.201 | 337 | 54 | 0.16
4/9/2026 | 3 | 65883 | 13551 | -12573 | 13381 | 5800 | -5381 | 0.206 | 259 | 41 | 0.158
4/9/2026 | 4 | 65507 | 13592 | -12714 | 13191 | 5817 | -5442 | 0.204 | 78 | 13 | 0.167
4/9/2026 | 5 | 67176 | 13492 | -12684 | 13316 | 5774 | -5429 | 0.201 | 127 | 20 | 0.157
4/9/2026 | 6 | 71042 | 13568 | -12463 | 13367 | 5807 | -5334 | 0.192 | 666 | 0 | 0
4/9/2026 | 7 | 76378 | 11192 | -10520 | 13656 | 4790 | -4503 | 0.181 | 623 | 62 | 0.1
4/9/2026 | 8 | 78800 | 10504 | -10012 | 12067 | 4496 | -4285 | 0.155 | 204 | 38 | 0.186
4/9/2026 | 9 | 78829 | 8818 | -8536 | 10039 | 3774 | -3654 | 0.128 | 73 | 15 | 0.205
4/9/2026 | 10 | 77100 | 8397 | -8213 | 9053 | 3594 | -3515 | 0.118 | 0 | 0 | 0
4/9/2026 | 11 | 75431 | 8693 | -8642 | 8634 | 3720 | -3699 | 0.115 | 0 | 0 | 0
4/9/2026 | 12 | 74892 | 8924 | -8955 | 8390 | 3820 | -3833 | 0.112 | 0 | 0 | 0
4/9/2026 | 13 | 74423 | 8981 | -9123 | 8223 | 3844 | -3905 | 0.11 | 0 | 0 | 0
4/9/2026 | 14 | 76820 | 8838 | -9112 | 8293 | 3783 | -3900 | 0.107 | 0 | 0 | 0
4/9/2026 | 15 | 78815 | 8408 | -8785 | 8602 | 3598 | -3760 | 0.108 | 0 | 0 | 0
4/9/2026 | 16 | 80457 | 9248 | -9618 | 9136 | 3958 | -4117 | 0.112 | 0 | 0 | 0
4/9/2026 | 17 | 82394 | 10634 | -10634 | 10302 | 4552 | -4551 | 0.125 | 0 | 0 | 0
4/9/2026 | 18 | 86019 | 12776 | -12815 | 12303 | 5468 | -5485 | 0.143 | 0 | 0 | 0
4/9/2026 | 19 | 87050 | 14198 | -14210 | 14274 | 6077 | -6082 | 0.164 | 897 | 66 | 0.074
4/9/2026 | 20 | 86713 | 14609 | -14387 | 14738 | 6253 | -6158 | 0.171 | 1012 | 99 | 0.098
4/9/2026 | 21 | 85677 | 14479 | -13823 | 14644 | 6197 | -5916 | 0.173 | 1252 | 115 | 0.092
4/9/2026 | 22 | 81750 | 14638 | -13333 | 14467 | 6265 | -5706 | 0.181 | 1395 | 148 | 0.106
4/9/2026 | 23 | 76539 | 15545 | -13830 | 14315 | 6653 | -5919 | 0.192 | 1200 | 166 | 0.138
4/9/2026 | 24 | 71392 | 14855 | -12882 | 14238 | 6358 | -5514 | 0.206 | 1097 | 139 | 0.127
4/10/2026 | 1 | 67874 | 14216 | -12072 | 14512 | 6084 | -5166 | 0.22 | 710 | 174 | 0.245
4/10/2026 | 2 | 65606 | 14215 | -11990 | 14700 | 6084 | -5132 | 0.231 | 592 | 22 | 0.037
4/10/2026 | 3 | 63741 | 14631 | -12359 | 14714 | 6262 | -5290 | 0.238 | 678 | 49 | 0.072
4/10/2026 | 4 | 63347 | 14568 | -12255 | 14713 | 6235 | -5245 | 0.239 | 943 | 91 | 0.097
4/10/2026 | 5 | 64771 | 14261 | -12207 | 14756 | 6104 | -5225 | 0.234 | 726 | 49 | 0.067
4/10/2026 | 6 | 68246 | 13816 | -11841 | 15061 | 5913 | -5068 | 0.227 | 700 | 64 | 0.091
4/10/2026 | 7 | 73176 | 11534 | -9585 | 15324 | 4937 | -4103 | 0.215 | 1404 | 237 | 0.169
4/10/2026 | 8 | 75489 | 10521 | -8839 | 14459 | 4503 | -3783 | 0.197 | 658 | 93 | 0.141
4/10/2026 | 9 | 76742 | 8590 | -7402 | 12204 | 3676 | -3168 | 0.163 | 0 | 0 | 0
4/10/2026 | 10 | 75703 | 8104 | -7168 | 10857 | 3469 | -3068 | 0.147 | 0 | 0 | 0
4/10/2026 | 11 | 74867 | 8105 | -7285 | 10237 | 3469 | -3118 | 0.14 | 0 | 0 | 0
4/10/2026 | 12 | 73714 | 8178 | -7360 | 9803 | 3500 | -3150 | 0.136 | 0 | 0 | 0
4/10/2026 | 13 | 74752 | 8046 | -7579 | 10270 | 3444 | -3244 | 0.139 | 0 | 0 | 0
4/10/2026 | 14 | 75668 | 8131 | -7846 | 10207 | 3480 | -3358 | 0.136 | 0 | 0 | 0
4/10/2026 | 15 | 77714 | 8454 | -8671 | 9914 | 3618 | -3711 | 0.127 | 0 | 0 | 0
4/10/2026 | 16 | 78458 | 8706 | -8903 | 9440 | 3726 | -3811 | 0.12 | 0 | 0 | 0
4/10/2026 | 17 | 79843 | 9589 | -9377 | 9667 | 4104 | -4014 | 0.122 | 0 | 0 | 0
4/10/2026 | 18 | 82452 | 9971 | -9524 | 11722 | 4268 | -4076 | 0.144 | 0 | 0 | 0
4/10/2026 | 19 | 82738 | 12818 | -11807 | 13464 | 5486 | -5053 | 0.166 | 424 | 0 | 0
4/10/2026 | 20 | 82267 | 13241 | -11835 | 13922 | 5667 | -5065 | 0.174 | 939 | 0 | 0
4/10/2026 | 21 | 81478 | 13393 | -11983 | 13987 | 5732 | -5129 | 0.176 | 658 | 0 | 0
4/10/2026 | 22 | 78367 | 13533 | -11870 | 13531 | 5792 | -5080 | 0.178 | 1127 | 0 | 0
4/10/2026 | 23 | 73866 | 15452 | -13370 | 13292 | 6614 | -5723 | 0.187 | 347 | 0 | 0
4/10/2026 | 24 | 69572 | 14975 | -12719 | 12925 | 6409 | -5444 | 0.193 | 569 | 12 | 0.021
4/11/2026 | 1 | 66733 | 15260 | -12894 | 12632 | 6531 | -5519 | 0.197 | 807 | 112 | 0.139
4/11/2026 | 2 | 64771 | 15137 | -12833 | 12421 | 6479 | -5493 | 0.2 | 770 | 133 | 0.173
4/11/2026 | 3 | 63173 | 14968 | -12702 | 12355 | 6406 | -5437 | 0.204 | 759 | 123 | 0.162
4/11/2026 | 4 | 62130 | 14988 | -12838 | 12442 | 6415 | -5494 | 0.208 | 877 | 110 | 0.125
4/11/2026 | 5 | 62155 | 14948 | -12737 | 12047 | 6398 | -5451 | 0.202 | 742 | 132 | 0.178
4/11/2026 | 6 | 63358 | 15815 | -13622 | 12067 | 6769 | -5830 | 0.198 | 688 | 109 | 0.158
4/11/2026 | 7 | 65208 | 14077 | -12164 | 10994 | 6025 | -5206 | 0.176 | 1055 | 103 | 0.098
4/11/2026 | 8 | 66929 | 11304 | -10032 | 8496 | 4838 | -4294 | 0.133 | 130 | 17 | 0.131
4/11/2026 | 9 | 68177 | 9418 | -8714 | 7069 | 4031 | -3730 | 0.107 | 0 | 0 | 0
4/11/2026 | 10 | 68206 | 9100 | -8708 | 6767 | 3895 | -3727 | 0.101 | 0 | 0 | 0
4/11/2026 | 11 | 68230 | 8857 | -8690 | 6708 | 3791 | -3719 | 0.099 | 0 | 0 | 0
4/11/2026 | 12 | 68532 | 8256 | -8175 | 6869 | 3534 | -3498 | 0.101 | 0 | 0 | 0
4/11/2026 | 13 | 68466 | 8477 | -8395 | 6844 | 3628 | -3593 | 0.1 | 0 | 0 | 0
4/11/2026 | 14 | 69294 | 8448 | -8600 | 6912 | 3616 | -3680 | 0.099 | 0 | 0 | 0
4/11/2026 | 15 | 70024 | 8707 | -8956 | 6941 | 3726 | -3833 | 0.098 | 0 | 0 | 0
4/11/2026 | 16 | 72027 | 9238 | -9240 | 7304 | 3954 | -3955 | 0.101 | 0 | 0 | 0
4/11/2026 | 17 | 74675 | 10213 | -10169 | 7684 | 4371 | -4352 | 0.103 | 0 | 0 | 0
4/11/2026 | 18 | 76836 | 10902 | -10072 | 8269 | 4666 | -4311 | 0.111 | 0 | 0 | 0
4/11/2026 | 19 | 78319 | 13447 | -12104 | 9941 | 5755 | -5181 | 0.132 | 105 | 12 | 0.114
4/11/2026 | 20 | 78926 | 13802 | -12353 | 11317 | 5907 | -5287 | 0.149 | 8 | 1 | 0.125
4/11/2026 | 21 | 78120 | 14442 | -12964 | 11281 | 6181 | -5548 | 0.15 | 235 | 32 | 0.136
4/11/2026 | 22 | 75014 | 14809 | -12657 | 10864 | 6338 | -5417 | 0.153 | 0 | 0 | 0
4/11/2026 | 23 | 71661 | 16057 | -13965 | 10391 | 6872 | -5977 | 0.153 | 0 | 0 | 0
4/11/2026 | 24 | 68122 | 15618 | -13501 | 10359 | 6684 | -5778 | 0.16 | 0 | 0 | 0
4/12/2026 | 1 | 65478 | 13508 | -11576 | 10569 | 5781 | -4955 | 0.169 | 661 | 70 | 0.106
4/12/2026 | 2 | 63247 | 13406 | -11608 | 10151 | 5738 | -4968 | 0.168 | 137 | 16 | 0.117
4/12/2026 | 3 | 62120 | 13174 | -11621 | 10040 | 5638 | -4974 | 0.168 | 349 | 47 | 0.135
4/12/2026 | 4 | 61390 | 13249 | -11676 | 10030 | 5671 | -4997 | 0.17 | 58 | 6 | 0.103
4/12/2026 | 5 | 61677 | 13196 | -11770 | 9888 | 5648 | -5038 | 0.166 | 0 | 0 | 0
4/12/2026 | 6 | 62790 | 12934 | -11534 | 9702 | 5535 | -4937 | 0.16 | 0 | 0 | 0
4/12/2026 | 7 | 64730 | 11740 | -10769 | 9087 | 5025 | -4609 | 0.145 | 0 | 0 | 0
4/12/2026 | 8 | 65805 | 10674 | -9880 | 7487 | 4568 | -4229 | 0.118 | 0 | 0 | 0
4/12/2026 | 9 | 67267 | 9344 | -9106 | 6813 | 3999 | -3898 | 0.102 | 0 | 0 | 0
4/12/2026 | 10 | 66820 | 10002 | -9762 | 6480 | 4281 | -4178 | 0.098 | 0 | 0 | 0
4/12/2026 | 11 | 67351 | 9707 | -9674 | 6499 | 4154 | -4141 | 0.097 | 0 | 0 | 0
4/12/2026 | 12 | 68230 | 9361 | -9718 | 6412 | 4007 | -4159 | 0.092 | 0 | 0 | 0
4/12/2026 | 13 | 68407 | 9210 | -9912 | 6313 | 3942 | -4243 | 0.089 | 0 | 0 | 0
4/12/2026 | 14 | 67814 | 8866 | -9633 | 6386 | 3794 | -4122 | 0.09 | 0 | 0 | 0
4/12/2026 | 15 | 68834 | 8607 | -9598 | 6616 | 3684 | -4108 | 0.091 | 0 | 0 | 0
4/12/2026 | 16 | 70419 | 9223 | -10203 | 6858 | 3948 | -4367 | 0.093 | 0 | 0 | 0
4/12/2026 | 17 | 72498 | 9409 | -10098 | 7364 | 4027 | -4322 | 0.098 | 0 | 0 | 0
4/12/2026 | 18 | 75724 | 10727 | -11049 | 8331 | 4591 | -4729 | 0.109 | 0 | 0 | 0
4/12/2026 | 19 | 77314 | 13042 | -13057 | 9431 | 5582 | -5588 | 0.122 | 497 | 47 | 0.095
4/12/2026 | 20 | 79447 | 13470 | -13402 | 10111 | 5765 | -5736 | 0.128 | 681 | 0 | 0
4/12/2026 | 21 | 79307 | 13718 | -13482 | 10274 | 5871 | -5771 | 0.13 | 214 | 0 | 0
4/12/2026 | 22 | 76379 | 14454 | -14023 | 10211 | 6187 | -6002 | 0.135 | 418 | 0 | 0
4/12/2026 | 23 | 71750 | 15282 | -14266 | 10043 | 6540 | -6106 | 0.144 | 25 | 0 | 0
4/12/2026 | 24 | 67360 | 14954 | -13750 | 9532 | 6400 | -5885 | 0.147 | 105 | 10 | 0.095
4/13/2026 | 1 | 65580 | 14948 | -13825 | 9697 | 6398 | -5917 | 0.153 | 965 | 89 | 0.092
4/13/2026 | 2 | 63912 | 14347 | -13363 | 9526 | 6141 | -5719 | 0.153 | 897 | 86 | 0.096
4/13/2026 | 3 | 62553 | 15480 | -14194 | 9451 | 6626 | -6075 | 0.157 | 1003 | 0 | 0
4/13/2026 | 4 | 62936 | 14988 | -14045 | 9378 | 6415 | -6011 | 0.153 | 847 | 0 | 0
4/13/2026 | 5 | 64949 | 15448 | -14682 | 9237 | 6612 | -6283 | 0.146 | 258 | 26 | 0.101
4/13/2026 | 6 | 69339 | 14940 | -14245 | 9344 | 6394 | -6097 | 0.138 | 0 | 0 | 0
4/13/2026 | 7 | 74960 | 13832 | -13645 | 9286 | 5920 | -5840 | 0.125 | 0 | 0 | 0
4/13/2026 | 8 | 77719 | 11648 | -11754 | 8431 | 4985 | -5031 | 0.108 | 0 | 0 | 0
4/13/2026 | 9 | 76765 | 9126 | -9144 | 6418 | 3906 | -3914 | 0.084 | 0 | 0 | 0
4/13/2026 | 10 | 75487 | 8808 | -9031 | 6120 | 3770 | -3865 | 0.08 | 0 | 0 | 0
4/13/2026 | 11 | 74172 | 8564 | -8807 | 7220 | 3665 | -3769 | 0.096 | 0 | 0 | 0
4/13/2026 | 12 | 73054 | 8556 | -8899 | 6101 | 3662 | -3809 | 0.082 | 0 | 0 | 0
4/13/2026 | 13 | 71450 | 8776 | -9168 | 6148 | 3756 | -3924 | 0.084 | 0 | 0 | 0
4/13/2026 | 14 | 71053 | 8744 | -9251 | 6288 | 3742 | -3959 | 0.086 | 0 | 0 | 0
4/13/2026 | 15 | 70420 | 9035 | -9742 | 6492 | 3867 | -4170 | 0.089 | 0 | 0 | 0
4/13/2026 | 16 | 71682 | 9292 | -10138 | 6687 | 3977 | -4339 | 0.089 | 0 | 0 | 0
4/13/2026 | 17 | 74120 | 10329 | -10970 | 7028 | 4421 | -4695 | 0.092 | 0 | 0 | 0
4/13/2026 | 18 | 77594 | 10698 | -10374 | 7700 | 4578 | -4440 | 0.101 | 0 | 0 | 0
4/13/2026 | 19 | 79497 | 13767 | -12964 | 8964 | 5892 | -5549 | 0.116 | 54 | 5 | 0.093
4/13/2026 | 20 | 82020 | 15039 | -13985 | 9681 | 6437 | -5986 | 0.122 | 0 | 0 | 0
4/13/2026 | 21 | 81796 | 15117 | -13933 | 9777 | 6470 | -5963 | 0.124 | 0 | 0 | 0
4/13/2026 | 22 | 79119 | 14782 | -13436 | 9638 | 6327 | -5751 | 0.127 | 38 | 1 | 0.026
4/13/2026 | 23 | 74650 | 15056 | -13565 | 9582 | 6444 | -5806 | 0.134 | 0 | 0 | 0
4/13/2026 | 24 | 69773 | 15828 | -13766 | 9295 | 6774 | -5892 | 0.142 | 0 | 0 | 0
4/14/2026 | 1 | 66651 | 15464 | -13347 | 9566 | 6618 | -5712 | 0.152 | 15 | 0 | 0
4/14/2026 | 2 | 65036 | 14619 | -12886 | 9522 | 6257 | -5515 | 0.154 | 70 | 0 | 0
4/14/2026 | 3 | 63674 | 14993 | -13197 | 9438 | 6417 | -5648 | 0.156 | 0 | 0 | 0
4/14/2026 | 4 | 63551 | 14737 | -13040 | 9579 | 6307 | -5581 | 0.158 | 0 | 0 | 0
4/14/2026 | 5 | 65289 | 14967 | -13268 | 9714 | 6406 | -5679 | 0.156 | 0 | 0 | 0
4/14/2026 | 6 | 69608 | 14775 | -13027 | 9650 | 6324 | -5575 | 0.146 | 0 | 0 | 0
4/14/2026 | 7 | 75401 | 13649 | -12320 | 9593 | 5842 | -5273 | 0.132 | 0 | 0 | 0
4/14/2026 | 8 | 77856 | 10519 | -9801 | 7841 | 4502 | -4195 | 0.104 | 0 | 0 | 0
4/14/2026 | 9 | 76593 | 8823 | -8917 | 7244 | 3776 | -3816 | 0.094 | 0 | 0 | 0
4/14/2026 | 10 | 74510 | 8615 | -8957 | 6690 | 3687 | -3834 | 0.088 | 0 | 0 | 0
4/14/2026 | 11 | 72168 | 9047 | -9288 | 6728 | 3872 | -3975 | 0.092 | 0 | 0 | 0
4/14/2026 | 12 | 70402 | 8743 | -9073 | 6373 | 3742 | -3883 | 0.089 | 0 | 0 | 0
4/14/2026 | 13 | 69057 | 8770 | -9204 | 6068 | 3754 | -3940 | 0.086 | 0 | 0 | 0
4/14/2026 | 14 | 68455 | 9060 | -9398 | 6139 | 3877 | -4023 | 0.088 | 0 | 0 | 0
4/14/2026 | 15 | 69406 | 8992 | -9431 | 6272 | 3849 | -4036 | 0.088 | 0 | 0 | 0
4/14/2026 | 16 | 71460 | 8658 | -9320 | 6453 | 3706 | -3989 | 0.087 | 0 | 0 | 0
4/14/2026 | 17 | 74212 | 9421 | -9731 | 7060 | 4032 | -4165 | 0.094 | 0 | 0 | 0
4/14/2026 | 18 | 78605 | 10087 | -9739 | 7565 | 4317 | -4168 | 0.098 | 0 | 0 | 0
4/14/2026 | 19 | 81502 | 12347 | -11079 | 9690 | 5285 | -4742 | 0.124 | 10 | 0 | 0
4/14/2026 | 20 | 83056 | 13140 | -11519 | 10838 | 5624 | -4930 | 0.136 | 545 | 35 | 0.064
4/14/2026 | 21 | 82481 | 13228 | -11398 | 10771 | 5662 | -4878 | 0.137 | 843 | 88 | 0.104
4/14/2026 | 22 | 79317 | 12953 | -11066 | 10650 | 5544 | -4736 | 0.141 | 805 | 89 | 0.111
4/14/2026 | 23 | 74308 | 13852 | -11836 | 10809 | 5929 | -5066 | 0.153 | 860 | 102 | 0.119
4/14/2026 | 24 | 70222 | 13515 | -11686 | 10318 | 5784 | -5002 | 0.154 | 1102 | 148 | 0.134
4/15/2026 | 1 | 67448 | 13977 | -12124 | 10306 | 5983 | -5189 | 0.16 | 1472 | 274 | 0.186
4/15/2026 | 2 | 65307 | 13671 | -11780 | 10273 | 5851 | -5042 | 0.165 | 1516 | 310 | 0.204
4/15/2026 | 3 | 64011 | 13729 | -11754 | 10161 | 5876 | -5031 | 0.167 | 1470 | 346 | 0.235
4/15/2026 | 4 | 64018 | 13701 | -11759 | 10173 | 5864 | -5033 | 0.167 | 1148 | 223 | 0.194
4/15/2026 | 5 | 65690 | 13651 | -11911 | 9977 | 5843 | -5098 | 0.159 | 1091 | 170 | 0.156
4/15/2026 | 6 | 70149 | 13268 | -11764 | 10269 | 5679 | -5035 | 0.152 | 1317 | 204 | 0.155
4/15/2026 | 7 | 75391 | 12034 | -10676 | 10008 | 5151 | -4569 | 0.138 | 1646 | 333 | 0.202
4/15/2026 | 8 | 77881 | 10455 | -9746 | 8626 | 4475 | -4171 | 0.114 | 1194 | 251 | 0.21
4/15/2026 | 9 | 76819 | 8838 | -8509 | 6799 | 3783 | -3642 | 0.09 | 862 | 127 | 0.147
4/15/2026 | 10 | 75186 | 8989 | -8945 | 6643 | 3848 | -3828 | 0.089 | 587 | 90 | 0.153
4/15/2026 | 11 | 72562 | 8781 | -8836 | 6507 | 3758 | -3782 | 0.089 | 415 | 72 | 0.173
4/15/2026 | 12 | 70445 | 8727 | -8983 | 6598 | 3735 | -3845 | 0.092 | 417 | 76 | 0.182
4/15/2026 | 13 | 69739 | 8009 | -8348 | 6586 | 3428 | -3573 | 0.093 | 746 | 189 | 0.253
4/15/2026 | 14 | 70264 | 7936 | -8448 | 6395 | 3396 | -3616 | 0.089 | 480 | 100 | 0.208
4/15/2026 | 17 | 75510 | 8335 | -9055 | 7066 | 3568 | -3875 | 0.09 | 200 | 61 | 0.305
4/15/2026 | 18 | 81648 | 9629 | -10046 | 7775 | 4121 | -4300 | 0.094 | 233 | 49 | 0.21
4/15/2026 | 19 | 84201 | 12026 | -11509 | 10169 | 5147 | -4926 | 0.123 | 484 | 54 | 0.112
4/15/2026 | 20 | 85154 | 12933 | -11634 | 10452 | 5535 | -4979 | 0.127 | 982 | 95 | 0.097
4/15/2026 | 21 | 84813 | 12734 | -11260 | 10324 | 5450 | -4819 | 0.127 | 832 | 95 | 0.114
4/15/2026 | 22 | 81835 | 12394 | -10916 | 10506 | 5304 | -4672 | 0.134 | 969 | 113 | 0.117
4/15/2026 | 23 | 77618 | 12712 | -11352 | 10552 | 5441 | -4859 | 0.141 | 1186 | 169 | 0.142
4/15/2026 | 24 | 73139 | 12630 | -11165 | 10347 | 5406 | -4779 | 0.147 | 1238 | 177 | 0.143
4/16/2026 | 1 | 69892 | 12121 | -10507 | 10593 | 5188 | -4497 | 0.158 | 1415 | 262 | 0.185
4/16/2026 | 2 | 67874 | 12588 | -10989 | 10502 | 5388 | -4703 | 0.161 | 1205 | 221 | 0.183
4/16/2026 | 3 | 66123 | 12805 | -11098 | 10200 | 5480 | -4750 | 0.161 | 1263 | 221 | 0.175
4/16/2026 | 4 | 66130 | 13191 | -11501 | 10163 | 5646 | -4922 | 0.161 | 991 | 112 | 0.113
4/16/2026 | 5 | 67965 | 13056 | -11432 | 10141 | 5588 | -4893 | 0.156 | 1116 | 123 | 0.11
4/16/2026 | 6 | 72354 | 13044 | -11438 | 10552 | 5583 | -4896 | 0.152 | 1049 | 138 | 0.132
4/16/2026 | 7 | 77925 | 11722 | -10560 | 10779 | 5017 | -4520 | 0.143 | 1170 | 226 | 0.193
4/16/2026 | 8 | 80591 | 10534 | -9758 | 10140 | 4508 | -4177 | 0.129 | 1406 | 248 | 0.176
4/16/2026 | 9 | 79720 | 8387 | -8454 | 8250 | 3590 | -3618 | 0.103 | 721 | 96 | 0.133
4/16/2026 | 10 | 76690 | 8183 | -8343 | 7095 | 3502 | -3571 | 0.092 | 94 | 18 | 0.191
4/16/2026 | 11 | 73386 | 8020 | -8360 | 6701 | 3432 | -3578 | 0.09 | 0 | 0 | 0
4/16/2026 | 12 | 71291 | 7623 | -8163 | 6714 | 3263 | -3494 | 0.092 | 0 | 0 | 0
4/16/2026 | 13 | 70399 | 7992 | -8538 | 6593 | 3421 | -3654 | 0.091 | 0 | 0 | 0
4/16/2026 | 14 | 70071 | 7610 | -8122 | 6451 | 3257 | -3476 | 0.09 | 0 | 0 | 0
4/16/2026 | 15 | 71082 | 7971 | -8706 | 6540 | 3411 | -3726 | 0.088 | 14 | 4 | 0.286
4/16/2026 | 16 | 72845 | 8335 | -9182 | 6609 | 3567 | -3930 | 0.087 | 0 | 0 | 0
4/16/2026 | 17 | 75457 | 9146 | -10008 | 6905 | 3915 | -4284 | 0.088 | 103 | 37 | 0.359
4/16/2026 | 18 | 80160 | 8732 | -9326 | 7695 | 3738 | -3991 | 0.094 | 130 | 23 | 0.177
4/16/2026 | 19 | 81665 | 12644 | -12301 | 9289 | 5412 | -5265 | 0.115 | 497 | 40 | 0.08
4/16/2026 | 20 | 83670 | 13412 | -12707 | 10360 | 5740 | -5438 | 0.126 | 774 | 101 | 0.13
4/16/2026 | 21 | 84110 | 13715 | -12687 | 10688 | 5870 | -5430 | 0.131 | 787 | 101 | 0.128
4/16/2026 | 22 | 81466 | 13180 | -12239 | 10897 | 5641 | -5238 | 0.137 | 779 | 97 | 0.125
4/16/2026 | 23 | 76681 | 12887 | -11744 | 10819 | 5515 | -5027 | 0.145 | 837 | 130 | 0.155
4/16/2026 | 24 | 72209 | 12849 | -11653 | 10447 | 5499 | -4987 | 0.149 | 1110 | 118 | 0.106
4/17/2026 | 1 | 69235 | 13625 | -12237 | 10362 | 5831 | -5237 | 0.155 | 1026 | 121 | 0.118
4/17/2026 | 2 | 67165 | 13792 | -12149 | 10032 | 5903 | -5200 | 0.156 | 1070 | 107 | 0.1
4/17/2026 | 3 | 65589 | 13901 | -12073 | 9796 | 5950 | -5167 | 0.157 | 1175 | 107 | 0.091
4/17/2026 | 4 | 65516 | 13709 | -11985 | 10014 | 5868 | -5130 | 0.16 | 1162 | 106 | 0.091
4/17/2026 | 5 | 67316 | 13296 | -11784 | 10380 | 5691 | -5044 | 0.16 | 1083 | 105 | 0.097
4/17/2026 | 6 | 71491 | 12992 | -11566 | 10851 | 5560 | -4950 | 0.157 | 900 | 109 | 0.121
4/17/2026 | 7 | 76161 | 10393 | -9245 | 11114 | 4448 | -3957 | 0.15 | 1112 | 179 | 0.161
4/17/2026 | 8 | 78512 | 9732 | -9205 | 8744 | 4166 | -3940 | 0.113 | 1032 | 251 | 0.243
4/17/2026 | 9 | 77061 | 7889 | -7947 | 7077 | 3376 | -3401 | 0.092 | 40 | 8 | 0.2
4/17/2026 | 10 | 73172 | 7640 | -7739 | 6639 | 3270 | -3312 | 0.09 | 0 | 0 | 0
4/17/2026 | 11 | 70118 | 7951 | -8169 | 6375 | 3403 | -3496 | 0.09 | 0 | 0 | 0
4/17/2026 | 12 | 67926 | 7906 | -8245 | 6240 | 3384 | -3528 | 0.09 | 0 | 0 | 0
4/17/2026 | 13 | 66490 | 8213 | -8298 | 6228 | 3515 | -3551 | 0.093 | 0 | 0 | 0
4/17/2026 | 14 | 66564 | 7964 | -7941 | 6192 | 3408 | -3399 | 0.093 | 0 | 0 | 0
4/17/2026 | 15 | 67546 | 7844 | -8030 | 6394 | 3357 | -3437 | 0.094 | 0 | 0 | 0
4/17/2026 | 16 | 69793 | 7795 | -8044 | 6479 | 3337 | -3443 | 0.092 | 0 | 0 | 0
4/17/2026 | 17 | 73216 | 8108 | -8298 | 6797 | 3470 | -3552 | 0.092 | 0 | 0 | 0
4/17/2026 | 18 | 77488 | 8302 | -8118 | 7996 | 3553 | -3475 | 0.104 | 39 | 5 | 0.128
4/17/2026 | 19 | 79402 | 10909 | -9961 | 11350 | 4669 | -4263 | 0.146 | 851 | 89 | 0.105
4/17/2026 | 20 | 80060 | 11234 | -10163 | 12741 | 4808 | -4350 | 0.163 | 1197 | 129 | 0.108
4/17/2026 | 21 | 79834 | 11505 | -10479 | 12851 | 4924 | -4485 | 0.164 | 1275 | 139 | 0.109
4/17/2026 | 22 | 77676 | 11143 | -10060 | 12922 | 4769 | -4305 | 0.17 | 956 | 35 | 0.037
4/17/2026 | 23 | 74040 | 12376 | -10637 | 13010 | 5297 | -4552 | 0.182 | 1223 | 29 | 0.024
4/17/2026 | 24 | 70018 | 12429 | -10611 | 12846 | 5320 | -4542 | 0.19 | 1401 | 191 | 0.136
4/18/2026 | 1 | 67492 | 12766 | -10947 | 12649 | 5464 | -4685 | 0.194 | 1556 | 238 | 0.153
4/18/2026 | 2 | 64913 | 12892 | -10900 | 11832 | 5518 | -4665 | 0.19 | 1535 | 256 | 0.167
4/18/2026 | 3 | 62897 | 13471 | -11344 | 11279 | 5765 | -4855 | 0.187 | 1737 | 514 | 0.296
4/18/2026 | 4 | 62492 | 13516 | -11257 | 11151 | 5785 | -4818 | 0.187 | 1840 | 472 | 0.257
4/18/2026 | 5 | 63285 | 13506 | -11068 | 11567 | 5780 | -4737 | 0.192 | 1579 | 353 | 0.224
4/18/2026 | 6 | 65230 | 13251 | -10818 | 11762 | 5672 | -4631 | 0.189 | 1318 | 172 | 0.131
4/18/2026 | 7 | 67532 | 12002 | -9948 | 11007 | 5137 | -4258 | 0.171 | 2049 | 447 | 0.218
4/18/2026 | 8 | 68455 | 8936 | -7541 | 7912 | 3825 | -3228 | 0.122 | 790 | 134 | 0.17
4/18/2026 | 9 | 67442 | 7488 | -6435 | 6291 | 3205 | -2754 | 0.098 | 243 | 59 | 0.243
4/18/2026 | 10 | 65113 | 7418 | -6627 | 6102 | 3175 | -2836 | 0.098 | 410 | 111 | 0.271
4/18/2026 | 11 | 62422 | 7383 | -6702 | 5740 | 3160 | -2869 | 0.096 | 258 | 81 | 0.314
4/18/2026 | 12 | 60877 | 6963 | -6430 | 5563 | 2980 | -2752 | 0.094 | 238 | 84 | 0.353
4/18/2026 | 13 | 59955 | 6947 | -6471 | 5663 | 2973 | -2770 | 0.097 | 222 | 71 | 0.32
4/18/2026 | 14 | 60125 | 7225 | -6645 | 5659 | 3092 | -2844 | 0.097 | 59 | 20 | 0.339
4/18/2026 | 15 | 61907 | 7209 | -6712 | 5840 | 3086 | -2873 | 0.097 | 73 | 26 | 0.356
4/18/2026 | 16 | 65341 | 7064 | -6635 | 5926 | 3023 | -2840 | 0.093 | 41 | 12 | 0.293
4/18/2026 | 17 | 70476 | 8089 | -7546 | 6238 | 3462 | -3230 | 0.091 | 1 | 0 | 0
4/18/2026 | 18 | 74343 | 9351 | -8466 | 7430 | 4002 | -3624 | 0.104 | 480 | 65 | 0.135
4/18/2026 | 19 | 77134 | 11870 | -10691 | 10502 | 5080 | -4576 | 0.141 | 350 | 43 | 0.123
4/18/2026 | 20 | 78020 | 12627 | -11593 | 12222 | 5404 | -4962 | 0.16 | 607 | 73 | 0.12
4/18/2026 | 21 | 77530 | 14221 | -13337 | 12523 | 6086 | -5708 | 0.165 | 681 | 86 | 0.126
4/18/2026 | 22 | 74930 | 13430 | -12335 | 12380 | 5748 | -5279 | 0.169 | 597 | 76 | 0.127
4/18/2026 | 23 | 71529 | 14432 | -13039 | 11966 | 6177 | -5581 | 0.172 | 207 | 3 | 0.014
4/18/2026 | 24 | 67133 | 14391 | -12596 | 11780 | 6159 | -5391 | 0.182 | 40 | 4 | 0.1
4/19/2026 | 1 | 64960 | 13888 | -12141 | 11591 | 5944 | -5196 | 0.185 | 166 | 18 | 0.108
4/19/2026 | 2 | 62672 | 13573 | -11883 | 11618 | 5809 | -5086 | 0.192 | 234 | 27 | 0.115
4/19/2026 | 3 | 61262 | 14073 | -12514 | 11678 | 6024 | -5356 | 0.197 | 613 | 69 | 0.113
4/19/2026 | 4 | 60647 | 13690 | -12100 | 12107 | 5859 | -5179 | 0.205 | 638 | 69 | 0.108
4/19/2026 | 5 | 61211 | 13622 | -12015 | 12962 | 5830 | -5143 | 0.217 | 779 | 93 | 0.119
4/19/2026 | 6 | 61927 | 13924 | -12016 | 13321 | 5960 | -5143 | 0.221 | 555 | 0 | 0
4/19/2026 | 7 | 62818 | 13834 | -11947 | 11808 | 5921 | -5114 | 0.195 | 667 | 175 | 0.262
4/19/2026 | 8 | 63409 | 11853 | -10311 | 8066 | 5073 | -4413 | 0.134 | 942 | 214 | 0.227
4/19/2026 | 9 | 64173 | 8247 | -7311 | 6117 | 3530 | -3129 | 0.1 | 0 | 0 | 0
4/19/2026 | 10 | 62633 | 8280 | -7516 | 5848 | 3544 | -3217 | 0.097 | 0 | 0 | 0
4/19/2026 | 11 | 61369 | 8224 | -7736 | 5726 | 3520 | -3311 | 0.096 | 0 | 0 | 0
4/19/2026 | 12 | 60938 | 8510 | -7983 | 5708 | 3642 | -3416 | 0.097 | 0 | 0 | 0
4/19/2026 | 13 | 61478 | 8829 | -8427 | 5810 | 3779 | -3607 | 0.097 | 0 | 0 | 0
4/19/2026 | 14 | 62463 | 9093 | -8646 | 5904 | 3892 | -3701 | 0.097 | 0 | 0 | 0
4/19/2026 | 15 | 64391 | 9146 | -8756 | 6218 | 3915 | -3748 | 0.099 | 0 | 0 | 0
4/19/2026 | 16 | 68355 | 9311 | -9010 | 6620 | 3985 | -3856 | 0.098 | 0 | 0 | 0
4/19/2026 | 17 | 73522 | 9623 | -9272 | 7287 | 4119 | -3968 | 0.101 | 0 | 0 | 0
4/19/2026 | 18 | 77859 | 11104 | -10452 | 9341 | 4753 | -4474 | 0.123 | 0 | 0 | 0
4/19/2026 | 19 | 79917 | 14304 | -13075 | 11778 | 6122 | -5596 | 0.152 | 306 | 0 | 0
4/19/2026 | 20 | 80391 | 15445 | -14010 | 12657 | 6610 | -5997 | 0.162 | 1023 | 2 | 0.002
4/19/2026 | 21 | 79920 | 15140 | -13509 | 12760 | 6480 | -5782 | 0.165 | 746 | 0 | 0
4/19/2026 | 22 | 77280 | 15007 | -13205 | 12500 | 6423 | -5652 | 0.168 | 882 | 0 | 0
4/19/2026 | 23 | 71893 | 15427 | -13093 | 12320 | 6603 | -5604 | 0.179 | 738 | 77 | 0.104
4/19/2026 | 24 | 66963 | 15317 | -12895 | 12055 | 6556 | -5519 | 0.189 | 1258 | 110 | 0.087
4/20/2026 | 1 | 63451 | 14396 | -11875 | 12102 | 6161 | -5082 | 0.2 | 1312 | 201 | 0.153
4/20/2026 | 2 | 60856 | 14479 | -11740 | 11698 | 6197 | -5025 | 0.202 | 1270 | 191 | 0.15
4/20/2026 | 3 | 59390 | 14403 | -11783 | 10802 | 6165 | -5043 | 0.192 | 1357 | 238 | 0.175
4/20/2026 | 4 | 59491 | 14406 | -11986 | 10903 | 6166 | -5130 | 0.193 | 1102 | 128 | 0.116
4/20/2026 | 5 | 61532 | 14444 | -12434 | 10770 | 6182 | -5322 | 0.183 | 1015 | 104 | 0.102
4/20/2026 | 6 | 65888 | 14394 | -12581 | 11120 | 6161 | -5385 | 0.176 | 793 | 77 | 0.097
4/20/2026 | 7 | 70598 | 12905 | -11310 | 10784 | 5523 | -4841 | 0.159 | 600 | 75 | 0.125
4/20/2026 | 8 | 72575 | 10333 | -8768 | 8480 | 4422 | -3753 | 0.123 | 261 | 32 | 0.123
4/20/2026 | 9 | 72186 | 7837 | -6891 | 7268 | 3354 | -2949 | 0.105 | 0 | 0 | 0
4/20/2026 | 10 | 71196 | 7848 | -7059 | 6842 | 3359 | -3021 | 0.1 | 0 | 0 | 0
4/20/2026 | 11 | 70613 | 7675 | -7019 | 6820 | 3285 | -3004 | 0.1 | 0 | 0 | 0
4/20/2026 | 12 | 70623 | 7870 | -7159 | 6784 | 3368 | -3064 | 0.099 | 0 | 0 | 0
4/20/2026 | 13 | 71758 | 7926 | -7356 | 7107 | 3392 | -3148 | 0.102 | 4 | 0 | 0
4/20/2026 | 14 | 72962 | 8309 | -7782 | 8046 | 3556 | -3331 | 0.113 | 12 | 3 | 0.25
4/20/2026 | 15 | 74294 | 8784 | -8381 | 7943 | 3759 | -3587 | 0.109 | 69 | 19 | 0.275
4/20/2026 | 16 | 77432 | 9607 | -8993 | 7904 | 4112 | -3849 | 0.105 | 25 | 6 | 0.24
4/20/2026 | 17 | 81612 | 10568 | -9735 | 8386 | 4523 | -4167 | 0.106 | 0 | 0 | 0
4/20/2026 | 18 | 85489 | 11719 | -10949 | 9880 | 5016 | -4686 | 0.118 | 178 | 26 | 0.146
4/20/2026 | 19 | 86485 | 14359 | -13683 | 13545 | 6145 | -5856 | 0.159 | 549 | 12 | 0.022
4/20/2026 | 20 | 85328 | 14859 | -13466 | 14155 | 6360 | -5763 | 0.17 | 444 | 56 | 0.126
4/20/2026 | 21 | 84702 | 15270 | -14069 | 14108 | 6535 | -6021 | 0.17 | 171 | 20 | 0.117
4/20/2026 | 22 | 81395 | 15041 | -13830 | 14015 | 6438 | -5919 | 0.176 | 492 | 46 | 0.093
4/20/2026 | 23 | 75867 | 15710 | -14000 | 13718 | 6724 | -5992 | 0.186 | 396 | 54 | 0.136
4/20/2026 | 24 | 70470 | 15274 | -13308 | 13302 | 6538 | -5696 | 0.195 | 722 | 88 | 0.122
4/21/2026 | 1 | 66908 | 14147 | -12444 | 13053 | 6055 | -5326 | 0.201 | 823 | 195 | 0.237
4/21/2026 | 2 | 64612 | 14471 | -12984 | 12066 | 6194 | -5557 | 0.192 | 745 | 153 | 0.205
4/21/2026 | 3 | 62805 | 14452 | -12904 | 11071 | 6186 | -5523 | 0.182 | 1017 | 162 | 0.159
4/21/2026 | 4 | 62365 | 14676 | -13390 | 10754 | 6281 | -5731 | 0.178 | 808 | 123 | 0.152
4/21/2026 | 5 | 63662 | 14164 | -12927 | 11048 | 6062 | -5533 | 0.178 | 790 | 107 | 0.135
4/21/2026 | 6 | 67502 | 14652 | -13584 | 11646 | 6271 | -5814 | 0.177 | 739 | 105 | 0.142
4/21/2026 | 7 | 72409 | 13348 | -12672 | 11327 | 5713 | -5424 | 0.159 | 750 | 97 | 0.129
4/21/2026 | 8 | 75289 | 11805 | -11482 | 9522 | 5052 | -4914 | 0.128 | 193 | 22 | 0.114
4/21/2026 | 9 | 75340 | 9132 | -9294 | 7871 | 3908 | -3978 | 0.104 | 0 | 0 | 0
4/21/2026 | 10 | 74928 | 9396 | -9744 | 7472 | 4021 | -4170 | 0.098 | 0 | 0 | 0
4/21/2026 | 11 | 75562 | 9440 | -9970 | 8199 | 4040 | -4267 | 0.106 | 0 | 0 | 0
4/21/2026 | 12 | 75159 | 9725 | -10350 | 7497 | 4162 | -4430 | 0.097 | 0 | 0 | 0
4/21/2026 | 13 | 76626 | 10063 | -10641 | 7378 | 4307 | -4554 | 0.094 | 0 | 0 | 0
4/21/2026 | 14 | 77501 | 10335 | -10885 | 7355 | 4424 | -4659 | 0.093 | 0 | 0 | 0
4/21/2026 | 15 | 78563 | 10401 | -11217 | 7276 | 4451 | -4801 | 0.089 | 0 | 0 | 0
4/21/2026 | 16 | 78478 | 10649 | -11184 | 7268 | 4558 | -4787 | 0.09 | 0 | 0 | 0
4/21/2026 | 17 | 81427 | 11721 | -12416 | 7583 | 5016 | -5314 | 0.09 | 0 | 0 | 0
4/21/2026 | 18 | 84012 | 12401 | -13140 | 8647 | 5308 | -5624 | 0.1 | 0 | 0 | 0
4/21/2026 | 19 | 84652 | 16556 | -16698 | 11020 | 7086 | -7147 | 0.13 | 0 | 0 | 0
4/21/2026 | 20 | 84947 | 16683 | -16313 | 11795 | 7140 | -6982 | 0.14 | 157 | 22 | 0.14
4/21/2026 | 21 | 84065 | 15646 | -14930 | 11828 | 6697 | -6390 | 0.143 | 222 | 29 | 0.131
4/21/2026 | 22 | 80640 | 15375 | -14444 | 11633 | 6580 | -6182 | 0.147 | 129 | 14 | 0.109
4/21/2026 | 23 | 75314 | 15783 | -14513 | 11244 | 6755 | -6212 | 0.154 | 204 | 26 | 0.127
4/21/2026 | 24 | 70895 | 15396 | -14292 | 10515 | 6590 | -6117 | 0.153 | 460 | 53 | 0.115
4/22/2026 | 1 | 67421 | 14838 | -13734 | 9555 | 6351 | -5878 | 0.146 | 0 | 0 | 0
4/22/2026 | 2 | 65234 | 14826 | -13966 | 9025 | 6346 | -5977 | 0.142 | 0 | 0 | 0
4/22/2026 | 3 | 63672 | 14589 | -13736 | 9024 | 6244 | -5879 | 0.146 | 0 | 0 | 0
4/22/2026 | 4 | 63487 | 14328 | -13616 | 9057 | 6132 | -5828 | 0.146 | 0 | 0 | 0
4/22/2026 | 5 | 65034 | 14336 | -13544 | 9246 | 6136 | -5797 | 0.146 | 0 | 0 | 0
4/22/2026 | 6 | 68781 | 14890 | -13997 | 9326 | 6373 | -5991 | 0.139 | 0 | 0 | 0
4/22/2026 | 7 | 74050 | 13828 | -13435 | 9702 | 5919 | -5750 | 0.133 | 0 | 0 | 0
4/22/2026 | 8 | 76809 | 11334 | -11677 | 7992 | 4851 | -4998 | 0.103 | 195 | 46 | 0.236
4/22/2026 | 9 | 76209 | 8716 | -9367 | 6976 | 3731 | -4009 | 0.089 | 0 | 0 | 0
4/22/2026 | 10 | 75470 | 8903 | -9621 | 6812 | 3811 | -4118 | 0.087 | 0 | 0 | 0
4/22/2026 | 11 | 74337 | 8919 | -9840 | 6764 | 3817 | -4212 | 0.087 | 0 | 0 | 0
4/22/2026 | 12 | 73173 | 8379 | -9135 | 6751 | 3586 | -3910 | 0.089 | 0 | 0 | 0
4/22/2026 | 13 | 72396 | 8009 | -8687 | 6744 | 3428 | -3718 | 0.09 | 0 | 0 | 0
4/22/2026 | 14 | 71632 | 8410 | -8953 | 6670 | 3599 | -3832 | 0.091 | 0 | 0 | 0
4/22/2026 | 15 | 71646 | 8329 | -8654 | 6664 | 3565 | -3704 | 0.091 | 0 | 0 | 0
4/22/2026 | 16 | 73416 | 8548 | -9097 | 6620 | 3659 | -3894 | 0.088 | 122 | 28 | 0.23
4/22/2026 | 17 | 75966 | 10030 | -10803 | 7092 | 4293 | -4624 | 0.09 | 0 | 0 | 0
4/22/2026 | 18 | 79561 | 10475 | -11000 | 7524 | 4484 | -4708 | 0.092 | 0 | 0 | 0
4/22/2026 | 19 | 81734 | 14931 | -14670 | 8967 | 6390 | -6279 | 0.111 | 0 | 0 | 0
4/22/2026 | 20 | 83498 | 16401 | -15969 | 9474 | 7020 | -6835 | 0.115 | 14 | 2 | 0.143
4/22/2026 | 21 | 83473 | 16287 | -15862 | 9976 | 6971 | -6789 | 0.121 | 27 | 3 | 0.111
4/22/2026 | 22 | 80259 | 16250 | -15398 | 9643 | 6955 | -6591 | 0.123 | 0 | 0 | 0
4/22/2026 | 23 | 75660 | 16954 | -15743 | 8892 | 7256 | -6738 | 0.122 | 0 | 0 | 0
4/22/2026 | 24 | 70791 | 17368 | -15835 | 8557 | 7433 | -6777 | 0.127 | 52 | 6 | 0.115
4/23/2026 | 1 | 68228 | 16076 | -14996 | 8352 | 6881 | -6418 | 0.127 | 251 | 28 | 0.112
4/23/2026 | 2 | 65973 | 15908 | -14830 | 8059 | 6809 | -6347 | 0.127 | 687 | 100 | 0.146
4/23/2026 | 3 | 64676 | 16442 | -15330 | 7999 | 7037 | -6561 | 0.129 | 830 | 102 | 0.123
4/23/2026 | 4 | 64312 | 16030 | -14830 | 7883 | 6861 | -6347 | 0.128 | 455 | 70 | 0.154
4/23/2026 | 5 | 66005 | 16066 | -14906 | 7950 | 6876 | -6380 | 0.126 | 266 | 35 | 0.132
4/23/2026 | 6 | 70138 | 16024 | -14859 | 8171 | 6858 | -6359 | 0.122 | 0 | 0 | 0
4/23/2026 | 7 | 75004 | 14574 | -13916 | 8160 | 6238 | -5956 | 0.112 | 36 | 8 | 0.222
4/23/2026 | 8 | 77409 | 11632 | -11684 | 7338 | 4978 | -5001 | 0.095 | 0 | 0 | 0
4/23/2026 | 9 | 75786 | 9832 | -10061 | 6589 | 4208 | -4306 | 0.086 | 0 | 0 | 0
4/23/2026 | 10 | 73062 | 9053 | -9291 | 6434 | 3875 | -3976 | 0.087 | 0 | 0 | 0
4/23/2026 | 11 | 70834 | 8843 | -9305 | 6347 | 3785 | -3983 | 0.087 | 0 | 0 | 0
4/23/2026 | 12 | 69215 | 8561 | -9096 | 6418 | 3665 | -3893 | 0.09 | 0 | 0 | 0
4/23/2026 | 13 | 67750 | 8296 | -8730 | 6231 | 3551 | -3737 | 0.09 | 0 | 0 | 0
4/23/2026 | 14 | 67921 | 8640 | -9215 | 6403 | 3698 | -3944 | 0.091 | 0 | 0 | 0
4/23/2026 | 15 | 69030 | 8898 | -9489 | 6424 | 3809 | -4062 | 0.09 | 0 | 0 | 0
4/23/2026 | 16 | 70858 | 8648 | -9180 | 6451 | 3701 | -3929 | 0.088 | 346 | 86 | 0.249
4/23/2026 | 17 | 73867 | 9473 | -10252 | 6832 | 4054 | -4388 | 0.089 | 708 | 125 | 0.177
4/23/2026 | 18 | 78105 | 10116 | -10561 | 7276 | 4329 | -4520 | 0.091 | 868 | 273 | 0.315
4/23/2026 | 19 | 80844 | 14823 | -14825 | 8512 | 6344 | -6345 | 0.105 | 390 | 129 | 0.331
4/23/2026 | 20 | 82387 | 15930 | -15619 | 9022 | 6818 | -6685 | 0.111 | 171 | 52 | 0.304
4/23/2026 | 21 | 82885 | 16066 | -15621 | 8734 | 6876 | -6686 | 0.107 | 650 | 200 | 0.308
4/23/2026 | 22 | 80386 | 15818 | -15148 | 8538 | 6770 | -6483 | 0.109 | 540 | 173 | 0.32
4/23/2026 | 23 | 75559 | 14598 | -13566 | 8532 | 6248 | -5806 | 0.117 | 8 | 2 | 0.25
4/23/2026 | 24 | 70643 | 14485 | -13280 | 8896 | 6200 | -5683 | 0.131 | 88 | 32 | 0.364
4/24/2026 | 1 | 67602 | 13514 | -11846 | 9413 | 5784 | -5070 | 0.146 | 191 | 115 | 0.602
4/24/2026 | 2 | 65488 | 13921 | -12088 | 9745 | 5958 | -5174 | 0.156 | 228 | 137 | 0.601
4/24/2026 | 3 | 63776 | 13995 | -12153 | 9799 | 5990 | -5201 | 0.161 | 658 | 371 | 0.564
4/24/2026 | 4 | 63662 | 13721 | -12090 | 10139 | 5872 | -5175 | 0.166 | 671 | 373 | 0.556
4/24/2026 | 5 | 65117 | 13989 | -12274 | 10505 | 5987 | -5253 | 0.168 | 192 | 106 | 0.552
4/24/2026 | 6 | 69069 | 13392 | -11752 | 10673 | 5732 | -5030 | 0.161 | 76 | 41 | 0.539
4/24/2026 | 7 | 74214 | 11779 | -11026 | 10097 | 5041 | -4719 | 0.139 | 300 | 144 | 0.48
4/24/2026 | 8 | 76437 | 10404 | -10317 | 8570 | 4453 | -4416 | 0.112 | 1153 | 673 | 0.584
4/24/2026 | 9 | 75120 | 9740 | -9766 | 7203 | 4168 | -4180 | 0.096 | 107 | 67 | 0.626
4/24/2026 | 10 | 72395 | 8460 | -8668 | 6672 | 3621 | -3710 | 0.091 | 0 | 0 | 0
4/24/2026 | 11 | 69182 | 8290 | -8526 | 6455 | 3548 | -3650 | 0.092 | 0 | 0 | 0
4/24/2026 | 12 | 68019 | 7780 | -8054 | 6219 | 3330 | -3447 | 0.09 | 0 | 0 | 0
4/24/2026 | 13 | 67180 | 7857 | -8215 | 6051 | 3363 | -3516 | 0.088 | 0 | 0 | 0
4/24/2026 | 14 | 67516 | 8010 | -8524 | 6027 | 3428 | -3648 | 0.087 | 0 | 0 | 0
4/24/2026 | 15 | 68761 | 8100 | -8476 | 6187 | 3467 | -3628 | 0.088 | 0 | 0 | 0
4/24/2026 | 16 | 70715 | 8052 | -8425 | 6305 | 3446 | -3606 | 0.087 | 0 | 0 | 0
4/24/2026 | 17 | 73839 | 8466 | -8832 | 6618 | 3623 | -3780 | 0.088 | 0 | 0 | 0
4/24/2026 | 18 | 77666 | 8983 | -8922 | 7222 | 3845 | -3819 | 0.093 | 0 | 0 | 0
4/24/2026 | 19 | 79913 | 12713 | -12340 | 8914 | 5441 | -5282 | 0.113 | 0 | 0 | 0
4/24/2026 | 20 | 80908 | 13070 | -12400 | 10091 | 5594 | -5307 | 0.127 | 126 | 63 | 0.5
4/24/2026 | 21 | 80637 | 13243 | -12409 | 10290 | 5668 | -5311 | 0.131 | 0 | 0 | 0
4/24/2026 | 22 | 78842 | 13663 | -12776 | 10259 | 5847 | -5468 | 0.133 | 0 | 0 | 0
4/24/2026 | 23 | 75080 | 13380 | -12396 | 10219 | 5727 | -5306 | 0.14 | 0 | 0 | 0
4/24/2026 | 24 | 71709 | 12854 | -12323 | 9836 | 5501 | -5274 | 0.139 | 3 | 1 | 0.333
4/25/2026 | 1 | 69060 | 12409 | -11837 | 9901 | 5311 | -5066 | 0.146 | 57 | 29 | 0.509
4/25/2026 | 2 | 66456 | 12342 | -11673 | 9456 | 5282 | -4996 | 0.145 | 0 | 0 | 0
4/25/2026 | 3 | 64753 | 12284 | -11627 | 9229 | 5258 | -4976 | 0.145 | 0 | 0 | 0
4/25/2026 | 4 | 64168 | 12652 | -11989 | 9356 | 5415 | -5132 | 0.149 | 0 | 0 | 0
4/25/2026 | 5 | 64846 | 12504 | -12071 | 9182 | 5351 | -5166 | 0.143 | 0 | 0 | 0
4/25/2026 | 6 | 66706 | 11623 | -11311 | 8926 | 4975 | -4841 | 0.135 | 0 | 0 | 0
4/25/2026 | 7 | 68928 | 11023 | -11242 | 8652 | 4718 | -4812 | 0.125 | 0 | 0 | 0
4/25/2026 | 8 | 70940 | 9316 | -10261 | 7220 | 3987 | -4392 | 0.097 | 0 | 0 | 0
4/25/2026 | 9 | 72356 | 8085 | -9404 | 6695 | 3460 | -4025 | 0.086 | 0 | 0 | 0
4/25/2026 | 10 | 71430 | 7475 | -8767 | 6460 | 3199 | -3753 | 0.084 | 0 | 0 | 0
4/25/2026 | 11 | 69481 | 7317 | -8589 | 6208 | 3132 | -3676 | 0.083 | 0 | 0 | 0
4/25/2026 | 12 | 68056 | 7215 | -8602 | 6117 | 3088 | -3682 | 0.083 | 0 | 0 | 0
4/25/2026 | 13 | 67584 | 7207 | -8229 | 6130 | 3084 | -3522 | 0.086 | 0 | 0 | 0
4/25/2026 | 14 | 67890 | 7459 | -8338 | 6240 | 3192 | -3569 | 0.087 | 0 | 0 | 0
4/25/2026 | 15 | 69187 | 7368 | -7969 | 6612 | 3153 | -3411 | 0.093 | 0 | 0 | 0
4/25/2026 | 16 | 72235 | 7458 | -8329 | 7374 | 3192 | -3565 | 0.098 | 0 | 0 | 0
4/25/2026 | 17 | 74421 | 8226 | -8994 | 8168 | 3520 | -3850 | 0.106 | 640 | 344 | 0.537
4/25/2026 | 18 | 75303 | 8939 | -9423 | 9307 | 3826 | -4033 | 0.122 | 550 | 301 | 0.547
4/25/2026 | 19 | 75787 | 11532 | -11799 | 9962 | 4936 | -5050 | 0.13 | 1801 | 1051 | 0.584
4/25/2026 | 20 | 77071 | 12180 | -12226 | 10401 | 5213 | -5233 | 0.135 | 1066 | 605 | 0.568
4/25/2026 | 21 | 77155 | 11778 | -11695 | 10524 | 5041 | -5006 | 0.137 | 638 | 412 | 0.646
4/25/2026 | 22 | 75314 | 12624 | -12349 | 10291 | 5403 | -5286 | 0.138 | 429 | 234 | 0.545
4/25/2026 | 23 | 71837 | 12460 | -11732 | 10086 | 5333 | -5021 | 0.143 | 115 | 64 | 0.557
4/25/2026 | 24 | 68549 | 12315 | -11570 | 9959 | 5271 | -4952 | 0.148 | 619 | 363 | 0.586
4/26/2026 | 1 | 66085 | 12168 | -11300 | 9799 | 5208 | -4836 | 0.152 | 610 | 364 | 0.597
4/26/2026 | 2 | 64026 | 11922 | -11115 | 9769 | 5103 | -4757 | 0.156 | 869 | 437 | 0.503
4/26/2026 | 3 | 62826 | 11508 | -10753 | 9812 | 4925 | -4602 | 0.159 | 548 | 271 | 0.495
4/26/2026 | 4 | 62114 | 11459 | -10772 | 9758 | 4905 | -4610 | 0.16 | 519 | 257 | 0.495
4/26/2026 | 5 | 62744 | 11420 | -10832 | 9820 | 4888 | -4637 | 0.159 | 411 | 188 | 0.457
4/26/2026 | 6 | 63619 | 11678 | -10922 | 9452 | 4998 | -4674 | 0.152 | 11 | 6 | 0.545
4/26/2026 | 7 | 65607 | 9690 | -9660 | 8996 | 4148 | -4134 | 0.137 | 0 | 0 | 0
4/26/2026 | 8 | 66962 | 8289 | -8909 | 6933 | 3547 | -3813 | 0.1 | 0 | 0 | 0
4/26/2026 | 9 | 68521 | 7421 | -8859 | 6330 | 3176 | -3792 | 0.085 | 0 | 0 | 0
4/26/2026 | 10 | 67381 | 7452 | -8915 | 6545 | 3190 | -3816 | 0.09 | 0 | 0 | 0
4/26/2026 | 11 | 66648 | 7596 | -8846 | 6681 | 3251 | -3786 | 0.094 | 0 | 0 | 0
4/26/2026 | 12 | 65424 | 8003 | -9333 | 6941 | 3425 | -3995 | 0.099 | 0 | 0 | 0
4/26/2026 | 13 | 64257 | 7902 | -8884 | 7162 | 3382 | -3802 | 0.107 | 0 | 0 | 0
4/26/2026 | 14 | 64375 | 7566 | -8660 | 7152 | 3238 | -3706 | 0.106 | 0 | 0 | 0
4/26/2026 | 15 | 65181 | 7751 | -9040 | 7082 | 3317 | -3869 | 0.102 | 0 | 0 | 0
4/26/2026 | 16 | 66818 | 7606 | -8864 | 6946 | 3255 | -3794 | 0.098 | 0 | 0 | 0
4/26/2026 | 17 | 69589 | 7775 | -8861 | 7126 | 3328 | -3793 | 0.097 | 0 | 0 | 0
4/26/2026 | 18 | 72430 | 8105 | -8781 | 7337 | 3469 | -3758 | 0.098 | 0 | 0 | 0
4/26/2026 | 19 | 75004 | 10170 | -10401 | 8525 | 4353 | -4452 | 0.113 | 164 | 75 | 0.457
4/26/2026 | 20 | 77011 | 10824 | -10816 | 9154 | 4632 | -4629 | 0.119 | 0 | 0 | 0
4/26/2026 | 21 | 77856 | 10854 | -10792 | 9412 | 4646 | -4619 | 0.121 | 0 | 0 | 0
4/26/2026 | 22 | 75684 | 11414 | -11330 | 9522 | 4885 | -4849 | 0.126 | 8 | 4 | 0.5
4/26/2026 | 23 | 71415 | 11988 | -11630 | 9402 | 5131 | -4978 | 0.133 | 228 | 119 | 0.522
4/26/2026 | 24 | 67279 | 11571 | -11214 | 9407 | 4952 | -4800 | 0.141 | 434 | 223 | 0.514
4/27/2026 | 1 | 65246 | 12029 | -11944 | 9416 | 5149 | -5112 | 0.145 | 1279 | 784 | 0.613
4/27/2026 | 2 | 63210 | 12328 | -11977 | 9108 | 5276 | -5126 | 0.146 | 949 | 638 | 0.672
4/27/2026 | 3 | 62235 | 12531 | -12280 | 8924 | 5364 | -5256 | 0.145 | 1524 | 1043 | 0.684
4/27/2026 | 4 | 62502 | 12219 | -12106 | 8970 | 5230 | -5181 | 0.144 | 1083 | 725 | 0.669
4/27/2026 | 5 | 64723 | 12283 | -12371 | 9511 | 5257 | -5295 | 0.147 | 214 | 152 | 0.71
4/27/2026 | 6 | 68864 | 11981 | -11690 | 9704 | 5128 | -5003 | 0.142 | 0 | 0 | 0
4/27/2026 | 7 | 73986 | 10729 | -10784 | 9323 | 4592 | -4616 | 0.126 | 0 | 0 | 0
4/27/2026 | 8 | 76620 | 9329 | -9539 | 7988 | 3993 | -4083 | 0.103 | 0 | 0 | 0
4/27/2026 | 9 | 75144 | 8385 | -8982 | 7358 | 3589 | -3844 | 0.095 | 0 | 0 | 0
4/27/2026 | 10 | 73176 | 8084 | -8691 | 7476 | 3460 | -3720 | 0.099 | 0 | 0 | 0
4/27/2026 | 11 | 72076 | 7905 | -8496 | 7475 | 3383 | -3636 | 0.101 | 0 | 0 | 0
4/27/2026 | 12 | 70662 | 7715 | -8301 | 7632 | 3302 | -3553 | 0.105 | 0 | 0 | 0
4/27/2026 | 13 | 69888 | 7421 | -8395 | 7972 | 3176 | -3593 | 0.11 | 0 | 0 | 0
4/27/2026 | 14 | 69120 | 7572 | -8618 | 8616 | 3241 | -3688 | 0.12 | 0 | 0 | 0
4/27/2026 | 15 | 68728 | 7630 | -8466 | 8499 | 3265 | -3623 | 0.12 | 0 | 0 | 0
4/27/2026 | 16 | 69954 | 7769 | -8961 | 8036 | 3325 | -3835 | 0.109 | 0 | 0 | 0
4/27/2026 | 17 | 71714 | 8057 | -9301 | 7834 | 3449 | -3981 | 0.104 | 0 | 0 | 0
4/27/2026 | 19 | 79301 | 11552 | -11533 | 9649 | 4944 | -4936 | 0.122 | 571 | 177 | 0.31
4/27/2026 | 20 | 81611 | 13648 | -13569 | 10420 | 5841 | -5807 | 0.128 | 1101 | 491 | 0.446
4/27/2026 | 21 | 81774 | 13465 | -13288 | 10233 | 5763 | -5687 | 0.126 | 911 | 325 | 0.357
4/27/2026 | 22 | 79077 | 13122 | -12764 | 9867 | 5616 | -5463 | 0.126 | 450 | 176 | 0.391
4/27/2026 | 23 | 73857 | 13629 | -12857 | 9595 | 5833 | -5503 | 0.133 | 214 | 84 | 0.393
4/27/2026 | 24 | 69410 | 13676 | -12956 | 9629 | 5853 | -5545 | 0.142 | 127 | 60 | 0.472
4/28/2026 | 1 | 67021 | 14146 | -13627 | 10330 | 6054 | -5833 | 0.156 | 292 | 154 | 0.527
4/28/2026 | 2 | 64696 | 13726 | -13023 | 10605 | 5875 | -5574 | 0.167 | 706 | 457 | 0.647
4/28/2026 | 3 | 63607 | 13788 | -13104 | 10470 | 5901 | -5609 | 0.167 | 364 | 174 | 0.478
4/28/2026 | 4 | 63698 | 13987 | -13527 | 10415 | 5986 | -5789 | 0.165 | 37 | 15 | 0.405
4/28/2026 | 5 | 65524 | 14921 | -14453 | 10014 | 6386 | -6186 | 0.155 | 0 | 0 | 0
4/28/2026 | 6 | 69828 | 15022 | -14812 | 10334 | 6429 | -6340 | 0.149 | 37 | 17 | 0.459
4/28/2026 | 7 | 74493 | 13099 | -13406 | 9506 | 5607 | -5738 | 0.126 | 33 | 16 | 0.485
4/28/2026 | 8 | 76457 | 9996 | -10637 | 7709 | 4278 | -4553 | 0.098 | 214 | 118 | 0.551
4/28/2026 | 9 | 75512 | 7828 | -9003 | 6876 | 3350 | -3853 | 0.086 | 22 | 12 | 0.545
4/28/2026 | 10 | 72850 | 7808 | -9386 | 6695 | 3342 | -4017 | 0.084 | 0 | 0 | 0
4/28/2026 | 11 | 70023 | 7651 | -9222 | 6738 | 3275 | -3947 | 0.089 | 0 | 0 | 0
4/28/2026 | 12 | 68407 | 7300 | -8912 | 6772 | 3124 | -3814 | 0.091 | 0 | 0 | 0
4/28/2026 | 13 | 67374 | 7501 | -8945 | 6755 | 3210 | -3828 | 0.093 | 0 | 0 | 0
4/28/2026 | 14 | 67808 | 7661 | -9090 | 6728 | 3279 | -3891 | 0.092 | 0 | 0 | 0
4/28/2026 | 15 | 69109 | 8003 | -9541 | 6753 | 3426 | -4084 | 0.09 | 0 | 0 | 0
4/28/2026 | 16 | 71067 | 8701 | -10289 | 6736 | 3724 | -4404 | 0.087 | 0 | 0 | 0
4/28/2026 | 17 | 75384 | 9043 | -10691 | 7097 | 3870 | -4576 | 0.087 | 42 | 32 | 0.762
4/28/2026 | 18 | 79356 | 9630 | -10673 | 7610 | 4122 | -4568 | 0.091 | 95 | 57 | 0.6
4/28/2026 | 19 | 81123 | 14127 | -14087 | 9660 | 6046 | -6029 | 0.119 | 231 | 128 | 0.554
4/28/2026 | 20 | 82841 | 14225 | -14333 | 10996 | 6088 | -6135 | 0.132 | 582 | 322 | 0.553
4/28/2026 | 21 | 82928 | 13428 | -13428 | 11457 | 5747 | -5747 | 0.138 | 405 | 237 | 0.585
4/28/2026 | 22 | 80421 | 13448 | -13473 | 11223 | 5756 | -5767 | 0.139 | 189 | 107 | 0.566
4/28/2026 | 23 | 75007 | 14023 | -13537 | 11107 | 6002 | -5794 | 0.15 | 3 | 2 | 0.667
4/28/2026 | 24 | 70320 | 13808 | -13209 | 11094 | 5910 | -5653 | 0.16 | 106 | 42 | 0.396
4/29/2026 | 1 | 67470 | 12369 | -11927 | 11196 | 5294 | -5105 | 0.168 | 1492 | 612 | 0.41
4/29/2026 | 2 | 64940 | 12513 | -12002 | 11307 | 5356 | -5137 | 0.176 | 1124 | 498 | 0.443
4/29/2026 | 3 | 63363 | 12721 | -12092 | 11278 | 5445 | -5176 | 0.18 | 1897 | 930 | 0.49
4/29/2026 | 4 | 63499 | 12488 | -11995 | 11480 | 5345 | -5134 | 0.183 | 1859 | 906 | 0.487
4/29/2026 | 5 | 65566 | 12904 | -12486 | 11597 | 5523 | -5344 | 0.178 | 495 | 263 | 0.531
4/29/2026 | 6 | 69465 | 11899 | -11528 | 11556 | 5093 | -4934 | 0.168 | 222 | 114 | 0.514
4/29/2026 | 7 | 74470 | 9785 | -9713 | 11421 | 4188 | -4157 | 0.154 | 1385 | 635 | 0.458
4/29/2026 | 8 | 76009 | 8136 | -8096 | 9188 | 3482 | -3465 | 0.121 | 633 | 384 | 0.607
4/29/2026 | 9 | 74280 | 7349 | -7586 | 7528 | 3145 | -3247 | 0.1 | 0 | 0 | 0
4/29/2026 | 10 | 71683 | 7109 | -7492 | 7113 | 3042 | -3207 | 0.097 | 0 | 0 | 0
4/29/2026 | 11 | 69611 | 6692 | -7228 | 7042 | 2864 | -3094 | 0.099 | 0 | 0 | 0
4/29/2026 | 12 | 67356 | 6910 | -7429 | 6794 | 2958 | -3180 | 0.098 | 0 | 0 | 0
4/29/2026 | 13 | 67231 | 7188 | -7674 | 6793 | 3076 | -3284 | 0.099 | 0 | 0 | 0
4/29/2026 | 14 | 68184 | 7103 | -7546 | 7153 | 3040 | -3229 | 0.103 | 0 | 0 | 0
4/29/2026 | 15 | 70165 | 7392 | -7833 | 7389 | 3164 | -3353 | 0.103 | 0 | 0 | 0
4/29/2026 | 16 | 72871 | 7547 | -7879 | 7553 | 3230 | -3372 | 0.102 | 0 | 0 | 0
4/29/2026 | 17 | 76010 | 8683 | -9066 | 8231 | 3716 | -3880 | 0.107 | 0 | 0 | 0
4/29/2026 | 18 | 79324 | 9045 | -9071 | 9087 | 3871 | -3882 | 0.114 | 0 | 0 | 0
4/29/2026 | 19 | 81962 | 10526 | -10723 | 11284 | 4505 | -4589 | 0.137 | 460 | 229 | 0.498
4/29/2026 | 20 | 83319 | 10570 | -10697 | 12390 | 4524 | -4578 | 0.148 | 1111 | 529 | 0.476
4/29/2026 | 21 | 83376 | 10322 | -10376 | 12393 | 4418 | -4441 | 0.148 | 135 | 55 | 0.407
4/29/2026 | 22 | 80830 | 10216 | -10066 | 12022 | 4373 | -4308 | 0.149 | 206 | 99 | 0.481
4/29/2026 | 23 | 75675 | 11537 | -11072 | 12089 | 4938 | -4739 | 0.161 | 396 | 162 | 0.409
4/29/2026 | 24 | 70729 | 12289 | -11602 | 12096 | 5259 | -4966 | 0.173 | 432 | 180 | 0.417
4/30/2026 | 1 | 67710 | 12056 | -11605 | 12375 | 5160 | -4967 | 0.184 | 1140 | 372 | 0.326
4/30/2026 | 2 | 65503 | 11738 | -11316 | 12233 | 5024 | -4843 | 0.188 | 1188 | 391 | 0.329
4/30/2026 | 3 | 63694 | 11756 | -11302 | 12174 | 5031 | -4838 | 0.193 | 1246 | 453 | 0.364
4/30/2026 | 4 | 63108 | 12129 | -11644 | 12269 | 5191 | -4984 | 0.196 | 751 | 279 | 0.372
4/30/2026 | 5 | 64791 | 12080 | -11831 | 12777 | 5170 | -5064 | 0.198 | 1182 | 461 | 0.39
4/30/2026 | 6 | 68766 | 11570 | -11304 | 13114 | 4952 | -4838 | 0.192 | 990 | 372 | 0.376
4/30/2026 | 7 | 73340 | 9911 | -9580 | 12785 | 4242 | -4100 | 0.175 | 1609 | 716 | 0.445
4/30/2026 | 8 | 75224 | 8827 | -8391 | 9970 | 3778 | -3591 | 0.134 | 588 | 279 | 0.474
4/30/2026 | 9 | 74637 | 8120 | -8426 | 8277 | 3475 | -3606 | 0.11 | 0 | 0 | 0
4/30/2026 | 10 | 72384 | 8057 | -8504 | 8051 | 3449 | -3640 | 0.109 | 0 | 0 | 0
4/30/2026 | 11 | 70068 | 7784 | -8285 | 8160 | 3332 | -3546 | 0.114 | 0 | 0 | 0
4/30/2026 | 12 | 69734 | 7880 | -8588 | 7811 | 3373 | -3676 | 0.109 | 0 | 0 | 0
4/30/2026 | 13 | 70303 | 7996 | -8797 | 7740 | 3422 | -3765 | 0.106 | 0 | 0 | 0
4/30/2026 | 14 | 71364 | 8297 | -9065 | 7785 | 3551 | -3880 | 0.106 | 0 | 0 | 0
4/30/2026 | 15 | 73298 | 8528 | -9333 | 8036 | 3650 | -3995 | 0.106 | 0 | 0 | 0
4/30/2026 | 16 | 76363 | 9110 | -10003 | 8528 | 3899 | -4281 | 0.108 | 0 | 0 | 0
4/30/2026 | 17 | 79850 | 9258 | -10059 | 9104 | 3962 | -4305 | 0.111 | 0 | 0 | 0
4/30/2026 | 18 | 83467 | 9848 | -10406 | 10236 | 4215 | -4453 | 0.121 | 0 | 0 | 0
4/30/2026 | 19 | 85063 | 11718 | -12218 | 12841 | 5016 | -5229 | 0.149 | 0 | 0 | 0
4/30/2026 | 20 | 85319 | 12509 | -12537 | 13733 | 5354 | -5366 | 0.161 | 0 | 0 | 0
4/30/2026 | 21 | 84284 | 12807 | -12617 | 13597 | 5481 | -5400 | 0.162 | 17 | 6 | 0.353
4/30/2026 | 22 | 81608 | 12765 | -12537 | 13555 | 5463 | -5366 | 0.167 | 446 | 220 | 0.493
4/30/2026 | 23 | 76446 | 13052 | -12526 | 13032 | 5586 | -5361 | 0.172 | 489 | 285 | 0.583
4/30/2026 | 24 | 71615 | 13458 | -12561 | 12959 | 5760 | -5376 | 0.184 | 260 | 128 | 0.492