## KEY
Average Emissions Rate Calculation
Background:
The CAISO is publishing this metric of an average emissions rate (AER) based on the discussion in the GHG working groups. CAISO discussed the metric at the November 27, 2023 GHG Coordination Working Group. A brief explanation of the methodology is included below:
Methodology:
1) Which resources are reflected in this example AER metric (all schedules are from the 5-minute market)
- All supply resources are included
- All demand response resources are excluded
- All energy storage resources are included (emissions rate used is 0 MTCO2e/MWh)
- Resources that were attributed to serve California are included
2) The AER measures all schedules ie. The total dispatach of the resources and not relative to WEIM base schedule
3) Bilateral transactions are included (emissions rate used is 0.428 MTCO2e/MWh) unless they are resource specific.
4) CAISO filled in missing heat rate and emissions rate data by using wtd averages from existing data
Key
TRADE_DT | Trade date of the reported data in MM/DD/YYYY format
TRADE_HR | Trade hour of the reported data. Data is reported as the "hour-ending", e.g. TRADE_HR = 2 is for the hour-ending 1:59:59AM Pacific time
GEN_MWH | MWh of electricity generation in the WEIM area* (including CAISO)
IMP_MWH | MWh of electricity imports into the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
EXP_MWH | MWh of electricity exports from the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
GEN_GHG | Greenhouse gas emissions in MTCO2e of electricity generation in the WEIM area
IMP_GHG | Greenhouse gas emissions in MTCO2e of electricity imports into the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
EXP_GHG | Greenhouse gas emissions in MTCO2e of electricity exports from the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
AVG_EM_RATE | Average emissions rate calculated as columns G through I divided by columns C through E
ATTR_MWH | MWh of WEIM transfers into California which, by definition, is equal to the sum of the GHG attributions
ATTR_GHG | Greenhouse gas emissions in MTCO2e of WEIM transfers into California (resource-specific)
ATTR_AVG_EM_RATE | Average emissions rate of WEIM transfers into California
CAISO PUBLIC

## AER_SUMMARY
TRADE_DT | TRADE_HR | GEN_MWH | IMP_MWH | EXP_MWH | GEN_GHG | IMP_GHG | EXP_GHG | AVG_EM_RATE | ATTR_MWH | ATTR_GHG | ATTR_AVG_EM_RATE
8/1/2024 | 1 | 83095 | 12673 | -10079 | 28922 | 5424 | -4314 | 0.35 | 855 | 144 | 0.168
8/1/2024 | 2 | 78763 | 12138 | -9715 | 27684 | 5195 | -4158 | 0.354 | 603 | 70 | 0.116
8/1/2024 | 3 | 75542 | 11575 | -9433 | 26941 | 4954 | -4037 | 0.359 | 353 | 1 | 0.003
8/1/2024 | 4 | 73132 | 11836 | -9285 | 26794 | 5066 | -3974 | 0.368 | 359 | 0 | 0
8/1/2024 | 5 | 73316 | 11832 | -9272 | 26819 | 5064 | -3968 | 0.368 | 263 | 0 | 0
8/1/2024 | 6 | 75675 | 12132 | -9891 | 27053 | 5192 | -4233 | 0.36 | 353 | 11 | 0.031
8/1/2024 | 7 | 79574 | 17504 | -15859 | 26314 | 7492 | -6788 | 0.333 | 1796 | 578 | 0.322
8/1/2024 | 8 | 82941 | 16899 | -15472 | 24836 | 7233 | -6622 | 0.302 | 1499 | 482 | 0.322
8/1/2024 | 9 | 86997 | 16279 | -15173 | 23848 | 6967 | -6494 | 0.276 | 1653 | 568 | 0.344
8/1/2024 | 10 | 90535 | 16065 | -15149 | 23510 | 6876 | -6484 | 0.261 | 843 | 206 | 0.244
8/1/2024 | 11 | 94789 | 16430 | -15655 | 24338 | 7032 | -6700 | 0.258 | 724 | 110 | 0.152
8/1/2024 | 12 | 99529 | 16759 | -15977 | 25391 | 7173 | -6838 | 0.256 | 757 | 148 | 0.196
8/1/2024 | 13 | 105644 | 17812 | -16953 | 26703 | 7623 | -7256 | 0.254 | 1204 | 262 | 0.218
8/1/2024 | 14 | 111189 | 18428 | -18060 | 28334 | 7887 | -7730 | 0.255 | 433 | 52 | 0.12
8/1/2024 | 15 | 116325 | 19547 | -19349 | 30211 | 8366 | -8281 | 0.26 | 444 | 46 | 0.104
8/1/2024 | 16 | 119765 | 19859 | -19585 | 32110 | 8500 | -8382 | 0.268 | 291 | 0 | 0
8/1/2024 | 17 | 122614 | 22131 | -21440 | 33584 | 9472 | -9176 | 0.275 | 458 | 19 | 0.041
8/1/2024 | 18 | 124915 | 23176 | -22370 | 34279 | 9919 | -9574 | 0.275 | 1381 | 442 | 0.32
8/1/2024 | 19 | 124492 | 23272 | -22106 | 35899 | 9961 | -9461 | 0.29 | 1530 | 464 | 0.303
8/1/2024 | 20 | 120377 | 23890 | -22257 | 36712 | 10225 | -9526 | 0.307 | 1771 | 592 | 0.334
8/1/2024 | 21 | 116291 | 22532 | -21033 | 35892 | 9644 | -9002 | 0.31 | 1732 | 530 | 0.306
8/1/2024 | 22 | 110701 | 20484 | -18692 | 35023 | 8767 | -8000 | 0.318 | 2036 | 636 | 0.312
8/1/2024 | 23 | 102887 | 13064 | -11473 | 33547 | 5591 | -4910 | 0.328 | 455 | 59 | 0.13
8/1/2024 | 24 | 94215 | 11986 | -9523 | 31905 | 5130 | -4076 | 0.341 | 522 | 48 | 0.092
8/2/2024 | 1 | 87622 | 11788 | -9085 | 30482 | 5045 | -3888 | 0.35 | 204 | 0 | 0
8/2/2024 | 2 | 82768 | 11792 | -8978 | 28911 | 5047 | -3842 | 0.352 | 494 | 15 | 0.03
8/2/2024 | 3 | 79038 | 11848 | -8892 | 28141 | 5071 | -3806 | 0.359 | 343 | 0 | 0
8/2/2024 | 4 | 76913 | 11335 | -8600 | 27833 | 4851 | -3681 | 0.364 | 419 | 0 | 0
8/2/2024 | 5 | 76707 | 11438 | -8744 | 27917 | 4896 | -3742 | 0.366 | 336 | 2 | 0.006
8/2/2024 | 6 | 79016 | 11624 | -9225 | 28749 | 4975 | -3948 | 0.366 | 616 | 36 | 0.058
8/2/2024 | 7 | 81943 | 19354 | -16987 | 28525 | 8283 | -7270 | 0.35 | 2147 | 768 | 0.358
8/2/2024 | 8 | 85733 | 18305 | -15821 | 27248 | 7835 | -6771 | 0.321 | 2427 | 1050 | 0.433
8/2/2024 | 9 | 90142 | 18923 | -16428 | 26893 | 8099 | -7031 | 0.302 | 2226 | 625 | 0.281
8/2/2024 | 10 | 94300 | 19065 | -16553 | 27250 | 8160 | -7085 | 0.293 | 2137 | 526 | 0.246
8/2/2024 | 11 | 98944 | 19169 | -16600 | 27872 | 8204 | -7105 | 0.285 | 2496 | 679 | 0.272
8/2/2024 | 12 | 103994 | 19590 | -17063 | 28783 | 8385 | -7303 | 0.28 | 1399 | 247 | 0.177
8/2/2024 | 13 | 109728 | 20055 | -17779 | 30112 | 8583 | -7610 | 0.278 | 945 | 145 | 0.153
8/2/2024 | 14 | 115213 | 20798 | -18535 | 31621 | 8902 | -7933 | 0.277 | 1573 | 464 | 0.295
8/2/2024 | 15 | 119698 | 21664 | -19463 | 33656 | 9272 | -8330 | 0.284 | 1622 | 319 | 0.197
8/2/2024 | 16 | 122189 | 21978 | -19738 | 34761 | 9407 | -8448 | 0.287 | 1578 | 439 | 0.278
8/2/2024 | 17 | 124713 | 24262 | -22197 | 35573 | 10384 | -9500 | 0.288 | 1652 | 421 | 0.255
8/2/2024 | 18 | 125540 | 24302 | -22046 | 35445 | 10401 | -9436 | 0.285 | 1141 | 116 | 0.102
8/2/2024 | 19 | 123748 | 25184 | -22933 | 35273 | 10779 | -9815 | 0.288 | 407 | 2 | 0.005
8/2/2024 | 20 | 118855 | 25580 | -23237 | 35350 | 10948 | -9945 | 0.3 | 321 | 45 | 0.14
8/2/2024 | 21 | 114194 | 24470 | -21860 | 34081 | 10473 | -9356 | 0.301 | 1195 | 264 | 0.221
8/2/2024 | 22 | 108426 | 23411 | -20715 | 32975 | 10020 | -8866 | 0.307 | 1070 | 150 | 0.14
8/2/2024 | 23 | 100787 | 16713 | -13545 | 32147 | 7153 | -5797 | 0.322 | 758 | 106 | 0.14
8/2/2024 | 24 | 93283 | 15207 | -11950 | 31152 | 6509 | -5114 | 0.337 | 1029 | 265 | 0.258
8/3/2024 | 1 | 87121 | 15688 | -12674 | 30002 | 6715 | -5425 | 0.347 | 840 | 135 | 0.161
8/3/2024 | 2 | 82081 | 15339 | -12266 | 28196 | 6565 | -5250 | 0.347 | 906 | 238 | 0.263
8/3/2024 | 3 | 77959 | 15172 | -12117 | 26929 | 6493 | -5186 | 0.349 | 483 | 105 | 0.217
8/3/2024 | 4 | 75157 | 15237 | -12224 | 25857 | 6521 | -5232 | 0.347 | 462 | 90 | 0.195
8/3/2024 | 5 | 73841 | 15213 | -12303 | 25249 | 6511 | -5266 | 0.345 | 261 | 8 | 0.031
8/3/2024 | 6 | 73693 | 15981 | -13321 | 25339 | 6840 | -5701 | 0.347 | 195 | 15 | 0.077
8/3/2024 | 7 | 73737 | 21834 | -18900 | 23549 | 9345 | -8089 | 0.324 | 799 | 238 | 0.298
8/3/2024 | 8 | 76754 | 20325 | -17639 | 21689 | 8699 | -7550 | 0.287 | 758 | 230 | 0.303
8/3/2024 | 9 | 81506 | 19749 | -17251 | 20744 | 8453 | -7384 | 0.26 | 268 | 57 | 0.213
8/3/2024 | 10 | 86043 | 18901 | -16864 | 20387 | 8090 | -7218 | 0.241 | 0 | 0 | 0
8/3/2024 | 11 | 90771 | 19072 | -16835 | 21104 | 8163 | -7205 | 0.237 | 0 | 0 | 0
8/3/2024 | 12 | 96424 | 19129 | -16987 | 22201 | 8187 | -7270 | 0.235 | 0 | 0 | 0
8/3/2024 | 13 | 101664 | 19753 | -17636 | 23884 | 8454 | -7548 | 0.239 | 0 | 0 | 0
8/3/2024 | 14 | 107397 | 20517 | -18757 | 25815 | 8781 | -8028 | 0.243 | 0 | 0 | 0
8/3/2024 | 15 | 111858 | 22298 | -20848 | 27109 | 9544 | -8923 | 0.245 | 57 | 0 | 0
8/3/2024 | 16 | 116098 | 22376 | -20722 | 28798 | 9577 | -8869 | 0.251 | 0 | 0 | 0
8/3/2024 | 17 | 118689 | 23941 | -22242 | 29703 | 10247 | -9519 | 0.253 | 0 | 0 | 0
8/3/2024 | 18 | 120298 | 24473 | -22888 | 31717 | 10475 | -9796 | 0.266 | 49 | 0 | 0
8/3/2024 | 19 | 119367 | 25815 | -23839 | 32775 | 11049 | -10203 | 0.277 | 861 | 7 | 0.008
8/3/2024 | 20 | 115634 | 25525 | -23324 | 33170 | 10924 | -9983 | 0.289 | 889 | 141 | 0.159
8/3/2024 | 21 | 110250 | 24117 | -21645 | 31979 | 10322 | -9264 | 0.293 | 1245 | 262 | 0.21
8/3/2024 | 22 | 104510 | 23597 | -20892 | 30693 | 10100 | -8942 | 0.297 | 1048 | 163 | 0.156
8/3/2024 | 23 | 97989 | 16658 | -13720 | 30272 | 7130 | -5872 | 0.312 | 432 | 4 | 0.009
8/3/2024 | 24 | 91373 | 15839 | -12910 | 28561 | 6779 | -5526 | 0.316 | 845 | 205 | 0.243
8/4/2024 | 1 | 85421 | 15114 | -12672 | 26918 | 6469 | -5424 | 0.318 | 749 | 231 | 0.308
8/4/2024 | 2 | 80387 | 15213 | -12618 | 25500 | 6511 | -5400 | 0.321 | 522 | 117 | 0.224
8/4/2024 | 3 | 76942 | 14881 | -12442 | 24288 | 6369 | -5325 | 0.319 | 428 | 43 | 0.1
8/4/2024 | 4 | 73745 | 14685 | -12179 | 23191 | 6285 | -5213 | 0.318 | 506 | 22 | 0.043
8/4/2024 | 5 | 72291 | 14718 | -12190 | 23017 | 6299 | -5217 | 0.322 | 515 | 40 | 0.078
8/4/2024 | 6 | 71628 | 14919 | -12702 | 22922 | 6386 | -5437 | 0.323 | 383 | 28 | 0.073
8/4/2024 | 7 | 71379 | 15850 | -13958 | 22415 | 6784 | -5974 | 0.317 | 479 | 92 | 0.192
8/4/2024 | 8 | 72791 | 14475 | -12586 | 20547 | 6195 | -5387 | 0.286 | 372 | 105 | 0.282
8/4/2024 | 9 | 77098 | 13500 | -11627 | 19473 | 5778 | -4976 | 0.257 | 0 | 0 | 0
8/4/2024 | 10 | 81627 | 13544 | -11822 | 19242 | 5797 | -5060 | 0.24 | 0 | 0 | 0
8/4/2024 | 11 | 86007 | 13439 | -11451 | 19601 | 5752 | -4901 | 0.232 | 0 | 0 | 0
8/4/2024 | 12 | 92408 | 13660 | -11972 | 20873 | 5847 | -5124 | 0.23 | 0 | 0 | 0
8/4/2024 | 13 | 98369 | 14215 | -12621 | 22466 | 6084 | -5402 | 0.232 | 0 | 0 | 0
8/4/2024 | 14 | 104445 | 14885 | -13276 | 23938 | 6371 | -5682 | 0.232 | 0 | 0 | 0
8/4/2024 | 15 | 110319 | 16189 | -14634 | 25654 | 6929 | -6263 | 0.235 | 0 | 0 | 0
8/4/2024 | 16 | 115895 | 16329 | -14773 | 27685 | 6989 | -6323 | 0.241 | 60 | 0 | 0
8/4/2024 | 17 | 120075 | 17552 | -15922 | 29589 | 7512 | -6815 | 0.249 | 51 | 0 | 0
8/4/2024 | 18 | 122154 | 18467 | -16622 | 31170 | 7904 | -7114 | 0.258 | 547 | 6 | 0.011
8/4/2024 | 19 | 122378 | 19963 | -17843 | 32992 | 8544 | -7637 | 0.272 | 270 | 0 | 0
8/4/2024 | 20 | 118714 | 20560 | -18205 | 34043 | 8800 | -7792 | 0.29 | 265 | 0 | 0
8/4/2024 | 21 | 112786 | 19028 | -16532 | 33473 | 8144 | -7076 | 0.3 | 494 | 35 | 0.071
8/4/2024 | 22 | 106259 | 17408 | -14787 | 32506 | 7450 | -6329 | 0.309 | 1059 | 153 | 0.144
8/4/2024 | 23 | 98709 | 14367 | -11775 | 30648 | 6149 | -5040 | 0.313 | 1150 | 278 | 0.242
8/4/2024 | 24 | 91093 | 13658 | -11282 | 29135 | 5846 | -4829 | 0.323 | 1398 | 376 | 0.269
8/5/2024 | 1 | 84889 | 13421 | -10912 | 28150 | 5744 | -4671 | 0.334 | 1758 | 513 | 0.292
8/5/2024 | 2 | 80100 | 13300 | -10725 | 27156 | 5692 | -4590 | 0.342 | 869 | 172 | 0.198
8/5/2024 | 3 | 76709 | 12985 | -10442 | 26535 | 5558 | -4469 | 0.349 | 1168 | 304 | 0.26
8/5/2024 | 4 | 74892 | 12787 | -10153 | 26197 | 5473 | -4345 | 0.352 | 1305 | 357 | 0.274
8/5/2024 | 5 | 74833 | 12714 | -10136 | 26445 | 5441 | -4338 | 0.356 | 619 | 128 | 0.207
8/5/2024 | 6 | 77241 | 12962 | -10622 | 27063 | 5548 | -4546 | 0.353 | 537 | 98 | 0.182
8/5/2024 | 7 | 80636 | 19226 | -16795 | 26596 | 8229 | -7188 | 0.333 | 1509 | 478 | 0.317
8/5/2024 | 8 | 84764 | 18973 | -16719 | 25551 | 8120 | -7156 | 0.305 | 991 | 302 | 0.305
8/5/2024 | 9 | 88504 | 18644 | -16460 | 24539 | 7980 | -7045 | 0.281 | 373 | 71 | 0.19
8/5/2024 | 10 | 92513 | 18648 | -16607 | 24474 | 7981 | -7108 | 0.268 | 221 | 8 | 0.036
8/5/2024 | 11 | 97267 | 18808 | -16777 | 25398 | 8050 | -7180 | 0.265 | 154 | 2 | 0.013
8/5/2024 | 12 | 102277 | 19034 | -17075 | 26417 | 8147 | -7308 | 0.261 | 166 | 2 | 0.012
8/5/2024 | 13 | 108093 | 19618 | -18049 | 27719 | 8397 | -7725 | 0.259 | 217 | 1 | 0.005
8/5/2024 | 14 | 114309 | 20364 | -18666 | 29630 | 8716 | -7989 | 0.262 | 192 | 0 | 0
8/5/2024 | 15 | 119393 | 21466 | -20089 | 31612 | 9188 | -8598 | 0.267 | 300 | 27 | 0.09
8/5/2024 | 16 | 123130 | 21646 | -20290 | 33341 | 9264 | -8684 | 0.272 | 715 | 147 | 0.206
8/5/2024 | 17 | 124678 | 23464 | -22007 | 33752 | 10043 | -9419 | 0.273 | 1922 | 557 | 0.29
8/5/2024 | 18 | 126149 | 24932 | -22823 | 33604 | 10671 | -9768 | 0.269 | 2037 | 612 | 0.3
8/5/2024 | 19 | 126106 | 25928 | -23623 | 34640 | 11097 | -10111 | 0.277 | 1577 | 503 | 0.319
8/5/2024 | 20 | 121499 | 26831 | -24170 | 35407 | 11484 | -10345 | 0.294 | 863 | 172 | 0.199
8/5/2024 | 21 | 116268 | 26001 | -23173 | 34066 | 11128 | -9918 | 0.296 | 990 | 201 | 0.203
8/5/2024 | 22 | 109988 | 24778 | -22087 | 32548 | 10605 | -9453 | 0.299 | 1410 | 323 | 0.229
8/5/2024 | 23 | 100875 | 17676 | -14929 | 31744 | 7565 | -6390 | 0.318 | 635 | 101 | 0.159
8/5/2024 | 24 | 92816 | 17378 | -14588 | 29746 | 7438 | -6244 | 0.324 | 883 | 229 | 0.259
8/6/2024 | 1 | 87106 | 17363 | -14892 | 28028 | 7431 | -6374 | 0.325 | 343 | 14 | 0.041
8/6/2024 | 2 | 82364 | 16853 | -14492 | 27513 | 7213 | -6203 | 0.337 | 272 | 0 | 0
8/6/2024 | 3 | 78805 | 16576 | -14065 | 26666 | 7095 | -6020 | 0.341 | 292 | 0 | 0
8/6/2024 | 4 | 76616 | 16666 | -13885 | 25787 | 7133 | -5943 | 0.34 | 309 | 0 | 0
8/6/2024 | 5 | 76831 | 16935 | -14285 | 26066 | 7248 | -6114 | 0.342 | 344 | 0 | 0
8/6/2024 | 6 | 79203 | 16497 | -14033 | 26872 | 7061 | -6006 | 0.342 | 233 | 0 | 0
8/6/2024 | 7 | 82231 | 20093 | -17419 | 25851 | 8600 | -7455 | 0.318 | 782 | 144 | 0.184
8/6/2024 | 8 | 85869 | 19492 | -16954 | 24241 | 8343 | -7257 | 0.286 | 603 | 121 | 0.201
8/6/2024 | 9 | 89522 | 18873 | -16793 | 23003 | 8078 | -7187 | 0.261 | 59 | 0 | 0
8/6/2024 | 10 | 93430 | 18799 | -17234 | 22868 | 8046 | -7376 | 0.248 | 0 | 0 | 0
8/6/2024 | 11 | 97389 | 18898 | -17208 | 23340 | 8088 | -7365 | 0.243 | 0 | 0 | 0
8/6/2024 | 12 | 102012 | 19271 | -17598 | 24796 | 8248 | -7532 | 0.246 | 0 | 0 | 0
8/6/2024 | 13 | 107175 | 19534 | -17819 | 26329 | 8361 | -7627 | 0.249 | 0 | 0 | 0
8/6/2024 | 14 | 112698 | 20171 | -18269 | 27882 | 8633 | -7819 | 0.25 | 0 | 0 | 0
8/6/2024 | 15 | 117693 | 22011 | -20136 | 29330 | 9421 | -8618 | 0.252 | 0 | 0 | 0
8/6/2024 | 16 | 121005 | 22792 | -20612 | 30470 | 9755 | -8822 | 0.255 | 0 | 0 | 0
8/6/2024 | 17 | 123851 | 23856 | -21534 | 31449 | 10210 | -9216 | 0.257 | 296 | 0 | 0
8/6/2024 | 18 | 125118 | 24932 | -22141 | 32156 | 10671 | -9477 | 0.261 | 593 | 40 | 0.067
8/6/2024 | 19 | 124066 | 26300 | -23209 | 33746 | 11256 | -9933 | 0.276 | 347 | 44 | 0.127
8/6/2024 | 20 | 119776 | 26218 | -22943 | 35028 | 11221 | -9820 | 0.296 | 676 | 72 | 0.107
8/6/2024 | 21 | 114926 | 25568 | -22301 | 33811 | 10943 | -9545 | 0.298 | 789 | 58 | 0.074
8/6/2024 | 22 | 109014 | 24297 | -21175 | 32848 | 10399 | -9063 | 0.305 | 1330 | 252 | 0.189
8/6/2024 | 23 | 100011 | 18350 | -15563 | 32213 | 7854 | -6661 | 0.325 | 751 | 112 | 0.149
8/6/2024 | 24 | 92492 | 16316 | -13631 | 30513 | 6983 | -5834 | 0.333 | 546 | 25 | 0.046
8/7/2024 | 1 | 86752 | 15116 | -12817 | 28563 | 6470 | -5486 | 0.332 | 479 | 28 | 0.058
8/7/2024 | 2 | 81983 | 14589 | -12267 | 27887 | 6244 | -5250 | 0.343 | 328 | 0 | 0
8/7/2024 | 3 | 78364 | 14153 | -11779 | 26946 | 6058 | -5042 | 0.346 | 264 | 3 | 0.011
8/7/2024 | 4 | 76164 | 14254 | -12030 | 26497 | 6101 | -5149 | 0.35 | 237 | 0 | 0
8/7/2024 | 5 | 76002 | 14005 | -11837 | 26462 | 5994 | -5066 | 0.35 | 289 | 0 | 0
8/7/2024 | 6 | 78407 | 13931 | -11894 | 26467 | 5962 | -5091 | 0.34 | 362 | 0 | 0
8/7/2024 | 7 | 82256 | 18249 | -16551 | 25440 | 7811 | -7084 | 0.312 | 672 | 37 | 0.055
8/7/2024 | 8 | 85761 | 17147 | -15608 | 24936 | 7339 | -6680 | 0.293 | 810 | 108 | 0.133
8/7/2024 | 9 | 88924 | 16753 | -15360 | 24190 | 7170 | -6574 | 0.274 | 431 | 41 | 0.095
8/7/2024 | 10 | 91756 | 16328 | -15011 | 23499 | 6988 | -6425 | 0.259 | 415 | 0 | 0
8/7/2024 | 11 | 95395 | 16242 | -14758 | 23871 | 6952 | -6316 | 0.253 | 228 | 0 | 0
8/7/2024 | 12 | 99558 | 16594 | -15306 | 24767 | 7102 | -6551 | 0.251 | 229 | 0 | 0
8/7/2024 | 13 | 104952 | 16958 | -16096 | 25487 | 7258 | -6889 | 0.244 | 373 | 0 | 0
8/7/2024 | 14 | 109818 | 18005 | -16615 | 25898 | 7706 | -7111 | 0.238 | 328 | 0 | 0
8/7/2024 | 15 | 114204 | 19441 | -18257 | 26351 | 8321 | -7814 | 0.233 | 637 | 0 | 0
8/7/2024 | 16 | 117896 | 20012 | -18848 | 27054 | 8565 | -8067 | 0.231 | 381 | 0 | 0
8/7/2024 | 17 | 120555 | 21823 | -20474 | 27881 | 9340 | -8763 | 0.233 | 205 | 0 | 0
8/7/2024 | 18 | 121725 | 22743 | -20745 | 29985 | 9734 | -8879 | 0.249 | 57 | 0 | 0
8/7/2024 | 19 | 120858 | 23263 | -21048 | 31920 | 9957 | -9009 | 0.267 | 2 | 0 | 0
8/7/2024 | 20 | 116857 | 22987 | -20651 | 32597 | 9839 | -8839 | 0.282 | 443 | 35 | 0.079
8/7/2024 | 21 | 112091 | 22179 | -19729 | 31862 | 9493 | -8444 | 0.287 | 495 | 0 | 0
8/7/2024 | 22 | 106397 | 20926 | -18271 | 31057 | 8956 | -7820 | 0.295 | 603 | 14 | 0.023
8/7/2024 | 23 | 97890 | 15477 | -12775 | 30043 | 6624 | -5468 | 0.31 | 406 | 10 | 0.025
8/7/2024 | 24 | 89538 | 13960 | -10839 | 28605 | 5975 | -4639 | 0.323 | 332 | 22 | 0.066
8/8/2024 | 1 | 83660 | 13213 | -9913 | 27252 | 5655 | -4243 | 0.33 | 198 | 11 | 0.056
8/8/2024 | 2 | 79401 | 13014 | -9739 | 26484 | 5570 | -4168 | 0.337 | 238 | 0 | 0
8/8/2024 | 3 | 76286 | 12322 | -9428 | 26127 | 5274 | -4035 | 0.346 | 233 | 0 | 0
8/8/2024 | 4 | 74271 | 12370 | -9448 | 25959 | 5294 | -4044 | 0.352 | 295 | 0 | 0
8/8/2024 | 5 | 74498 | 12264 | -9475 | 25594 | 5249 | -4055 | 0.347 | 192 | 0 | 0
8/8/2024 | 6 | 76367 | 12801 | -9804 | 25656 | 5479 | -4196 | 0.339 | 277 | 5 | 0.018
8/8/2024 | 7 | 79747 | 17273 | -14308 | 24844 | 7393 | -6124 | 0.316 | 880 | 211 | 0.24
8/8/2024 | 8 | 83104 | 16569 | -13848 | 24166 | 7092 | -5927 | 0.295 | 598 | 112 | 0.187
8/8/2024 | 9 | 86389 | 15854 | -13117 | 23385 | 6785 | -5614 | 0.276 | 247 | 2 | 0.008
8/8/2024 | 10 | 89651 | 15842 | -13551 | 23097 | 6780 | -5800 | 0.262 | 56 | 0 | 0
8/8/2024 | 11 | 92586 | 15778 | -13263 | 22928 | 6753 | -5677 | 0.252 | 0 | 0 | 0
8/8/2024 | 12 | 96746 | 16374 | -13840 | 23534 | 7008 | -5924 | 0.248 | 0 | 0 | 0
8/8/2024 | 13 | 101370 | 16829 | -14394 | 23985 | 7203 | -6161 | 0.241 | 0 | 0 | 0
8/8/2024 | 14 | 106392 | 17548 | -15300 | 24772 | 7510 | -6548 | 0.237 | 0 | 0 | 0
8/8/2024 | 15 | 111404 | 19205 | -17263 | 25717 | 8220 | -7389 | 0.234 | 0 | 0 | 0
8/8/2024 | 16 | 115835 | 19414 | -17603 | 26940 | 8309 | -7534 | 0.236 | 0 | 0 | 0
8/8/2024 | 17 | 118560 | 21243 | -19422 | 27552 | 9092 | -8313 | 0.235 | 0 | 0 | 0
8/8/2024 | 18 | 120409 | 21494 | -19805 | 29613 | 9199 | -8477 | 0.248 | 0 | 0 | 0
8/8/2024 | 19 | 119414 | 22095 | -20345 | 30851 | 9457 | -8708 | 0.261 | 220 | 0 | 0
8/8/2024 | 20 | 114714 | 22480 | -20390 | 31376 | 9622 | -8727 | 0.276 | 583 | 22 | 0.038
8/8/2024 | 21 | 110135 | 21633 | -19332 | 30477 | 9259 | -8274 | 0.28 | 659 | 77 | 0.117
8/8/2024 | 22 | 104888 | 20025 | -17757 | 29485 | 8571 | -7600 | 0.284 | 823 | 95 | 0.115
8/8/2024 | 23 | 97227 | 14563 | -12001 | 29323 | 6233 | -5136 | 0.305 | 275 | 22 | 0.08
8/8/2024 | 24 | 89275 | 13306 | -10355 | 28547 | 5695 | -4432 | 0.323 | 396 | 77 | 0.194
8/9/2024 | 1 | 83521 | 14023 | -10745 | 27339 | 6002 | -4599 | 0.331 | 196 | 0 | 0
8/9/2024 | 2 | 79093 | 13986 | -10690 | 26025 | 5986 | -4575 | 0.333 | 219 | 0 | 0
8/9/2024 | 3 | 75720 | 13766 | -10470 | 25256 | 5892 | -4481 | 0.337 | 157 | 0 | 0
8/9/2024 | 4 | 73500 | 13691 | -10264 | 24675 | 5860 | -4393 | 0.34 | 215 | 0 | 0
8/9/2024 | 5 | 73845 | 13388 | -10153 | 24887 | 5730 | -4346 | 0.341 | 243 | 0 | 0
8/9/2024 | 6 | 75890 | 13842 | -10426 | 25221 | 5924 | -4462 | 0.336 | 191 | 1 | 0.005
8/9/2024 | 7 | 79171 | 17592 | -14374 | 24748 | 7529 | -6152 | 0.317 | 911 | 190 | 0.209
8/9/2024 | 8 | 82806 | 16213 | -13112 | 24000 | 6939 | -5612 | 0.295 | 945 | 246 | 0.26
8/9/2024 | 9 | 85995 | 15983 | -12928 | 23022 | 6841 | -5533 | 0.273 | 413 | 44 | 0.107
8/9/2024 | 10 | 89230 | 15957 | -13028 | 23552 | 6830 | -5576 | 0.269 | 140 | 1 | 0.007
8/9/2024 | 11 | 91670 | 16019 | -13133 | 23678 | 6856 | -5621 | 0.263 | 0 | 0 | 0
8/9/2024 | 12 | 95444 | 16109 | -13385 | 24120 | 6895 | -5729 | 0.258 | 0 | 0 | 0
8/9/2024 | 13 | 100255 | 16585 | -14160 | 24922 | 7098 | -6060 | 0.253 | 0 | 0 | 0
8/9/2024 | 14 | 105781 | 17162 | -14792 | 25943 | 7346 | -6331 | 0.249 | 0 | 0 | 0
8/9/2024 | 15 | 110856 | 18781 | -16463 | 26503 | 8038 | -7046 | 0.243 | 22 | 0 | 0
8/9/2024 | 16 | 115263 | 19299 | -17000 | 27404 | 8260 | -7276 | 0.241 | 51 | 0 | 0
8/9/2024 | 17 | 118067 | 20834 | -18394 | 28473 | 8917 | -7873 | 0.245 | 107 | 0 | 0
8/9/2024 | 18 | 119590 | 21329 | -18977 | 29821 | 9129 | -8122 | 0.253 | 518 | 0 | 0
8/9/2024 | 19 | 118168 | 21610 | -19180 | 31454 | 9249 | -8209 | 0.269 | 655 | 0 | 0
8/9/2024 | 20 | 113564 | 21940 | -19385 | 32490 | 9390 | -8297 | 0.289 | 723 | 9 | 0.012
8/9/2024 | 21 | 108532 | 21153 | -18399 | 31397 | 9054 | -7875 | 0.293 | 785 | 27 | 0.034
8/9/2024 | 22 | 103381 | 21096 | -18232 | 30128 | 9029 | -7803 | 0.295 | 859 | 124 | 0.144
8/9/2024 | 23 | 96290 | 15200 | -12302 | 29654 | 6505 | -5265 | 0.311 | 500 | 24 | 0.048
8/9/2024 | 24 | 89456 | 14127 | -11095 | 28523 | 6047 | -4749 | 0.322 | 375 | 5 | 0.013
8/10/2024 | 1 | 83418 | 14256 | -11143 | 27313 | 6102 | -4769 | 0.331 | 69 | 0 | 0
8/10/2024 | 2 | 78722 | 14537 | -11462 | 26044 | 6222 | -4906 | 0.334 | 100 | 0 | 0
8/10/2024 | 3 | 74840 | 14027 | -10771 | 24790 | 6004 | -4610 | 0.335 | 218 | 0 | 0
8/10/2024 | 4 | 72144 | 14045 | -10704 | 23740 | 6011 | -4581 | 0.333 | 208 | 0 | 0
8/10/2024 | 5 | 71127 | 14036 | -10679 | 23375 | 6007 | -4571 | 0.333 | 196 | 0 | 0
8/10/2024 | 6 | 71219 | 14286 | -10794 | 23549 | 6114 | -4620 | 0.335 | 280 | 0 | 0
8/10/2024 | 7 | 72070 | 17056 | -13678 | 22738 | 7300 | -5854 | 0.321 | 361 | 18 | 0.05
8/10/2024 | 8 | 74154 | 16255 | -12967 | 20947 | 6957 | -5550 | 0.289 | 162 | 0 | 0
8/10/2024 | 9 | 77586 | 15878 | -12600 | 19509 | 6796 | -5393 | 0.259 | 0 | 0 | 0
8/10/2024 | 10 | 81803 | 15477 | -12329 | 19683 | 6624 | -5277 | 0.248 | 0 | 0 | 0
8/10/2024 | 11 | 85092 | 15778 | -12736 | 19863 | 6753 | -5451 | 0.24 | 0 | 0 | 0
8/10/2024 | 12 | 89848 | 15516 | -12786 | 20744 | 6641 | -5472 | 0.237 | 0 | 0 | 0
8/10/2024 | 13 | 95462 | 15706 | -13430 | 22023 | 6722 | -5748 | 0.235 | 0 | 0 | 0
8/10/2024 | 14 | 100616 | 16646 | -14401 | 23590 | 7124 | -6163 | 0.239 | 0 | 0 | 0
8/10/2024 | 15 | 105605 | 18421 | -15683 | 25372 | 7884 | -6712 | 0.245 | 0 | 0 | 0
8/10/2024 | 16 | 110749 | 18849 | -16158 | 26802 | 8068 | -6916 | 0.246 | 0 | 0 | 0
8/10/2024 | 17 | 113937 | 20566 | -17856 | 27863 | 8802 | -7642 | 0.249 | 0 | 0 | 0
8/10/2024 | 18 | 115733 | 20927 | -18471 | 29398 | 8957 | -7906 | 0.258 | 207 | 7 | 0.034
8/10/2024 | 19 | 114615 | 21508 | -19576 | 30256 | 9206 | -8379 | 0.267 | 700 | 30 | 0.043
8/10/2024 | 20 | 111044 | 22058 | -20007 | 30956 | 9441 | -8563 | 0.281 | 493 | 0 | 0
8/10/2024 | 21 | 105882 | 21935 | -19626 | 30353 | 9388 | -8400 | 0.29 | 779 | 9 | 0.012
8/10/2024 | 22 | 100888 | 21936 | -19528 | 29700 | 9388 | -8358 | 0.297 | 993 | 27 | 0.027
8/10/2024 | 23 | 94243 | 17383 | -14537 | 29148 | 7440 | -6222 | 0.313 | 410 | 0 | 0
8/10/2024 | 24 | 87348 | 16491 | -13594 | 27948 | 7058 | -5818 | 0.323 | 245 | 5 | 0.02
8/11/2024 | 1 | 82199 | 14645 | -12186 | 25946 | 6268 | -5216 | 0.319 | 360 | 20 | 0.056
8/11/2024 | 2 | 78320 | 13967 | -11721 | 24543 | 5978 | -5017 | 0.317 | 350 | 16 | 0.046
8/11/2024 | 3 | 74753 | 13518 | -11297 | 23177 | 5786 | -4835 | 0.313 | 590 | 113 | 0.192
8/11/2024 | 4 | 72789 | 13530 | -11376 | 22837 | 5791 | -4869 | 0.317 | 316 | 9 | 0.028
8/11/2024 | 5 | 71711 | 13578 | -11491 | 22392 | 5811 | -4918 | 0.316 | 289 | 7 | 0.024
8/11/2024 | 6 | 71296 | 13967 | -11964 | 22303 | 5978 | -5121 | 0.316 | 249 | 0 | 0
8/11/2024 | 7 | 71823 | 13246 | -11858 | 21930 | 5669 | -5075 | 0.308 | 264 | 7 | 0.027
8/11/2024 | 8 | 73722 | 12276 | -11094 | 19819 | 5254 | -4748 | 0.271 | 320 | 45 | 0.141
8/11/2024 | 9 | 77047 | 12404 | -11081 | 18440 | 5309 | -4742 | 0.243 | 92 | 2 | 0.022
8/11/2024 | 10 | 80923 | 12434 | -11210 | 18915 | 5322 | -4798 | 0.237 | 178 | 0 | 0
8/11/2024 | 11 | 84414 | 12289 | -11243 | 19310 | 5260 | -4812 | 0.231 | 9 | 0 | 0
8/11/2024 | 12 | 88587 | 11923 | -11161 | 19931 | 5103 | -4777 | 0.227 | 40 | 0 | 0
8/11/2024 | 13 | 93008 | 12489 | -11422 | 20590 | 5345 | -4889 | 0.224 | 0 | 0 | 0
8/11/2024 | 14 | 97537 | 13457 | -12231 | 21730 | 5760 | -5235 | 0.225 | 0 | 0 | 0
8/11/2024 | 15 | 102680 | 14310 | -13211 | 23148 | 6125 | -5654 | 0.228 | 0 | 0 | 0
8/11/2024 | 16 | 107371 | 14689 | -13491 | 24558 | 6287 | -5774 | 0.231 | 200 | 0 | 0
8/11/2024 | 17 | 111263 | 16139 | -14767 | 26355 | 6908 | -6320 | 0.239 | 521 | 6 | 0.012
8/11/2024 | 18 | 113110 | 17130 | -15662 | 28799 | 7332 | -6703 | 0.257 | 152 | 0 | 0
8/11/2024 | 19 | 111788 | 17485 | -15790 | 30201 | 7484 | -6758 | 0.273 | 186 | 0 | 0
8/11/2024 | 20 | 108169 | 18347 | -16182 | 30870 | 7852 | -6926 | 0.288 | 364 | 24 | 0.066
8/11/2024 | 21 | 104342 | 18040 | -15920 | 30741 | 7721 | -6814 | 0.297 | 858 | 94 | 0.11
8/11/2024 | 22 | 99344 | 17728 | -15181 | 30098 | 7588 | -6497 | 0.306 | 1370 | 204 | 0.149
8/11/2024 | 23 | 92935 | 16705 | -14006 | 29302 | 7150 | -5994 | 0.318 | 986 | 213 | 0.216
8/11/2024 | 24 | 85227 | 16622 | -13408 | 27081 | 7114 | -5739 | 0.322 | 507 | 106 | 0.209
8/12/2024 | 1 | 80674 | 15987 | -13542 | 25497 | 6842 | -5796 | 0.319 | 414 | 75 | 0.181
8/12/2024 | 2 | 76809 | 15025 | -12703 | 23938 | 6431 | -5437 | 0.315 | 544 | 69 | 0.127
8/12/2024 | 3 | 73969 | 14908 | -12753 | 23017 | 6380 | -5458 | 0.314 | 403 | 67 | 0.166
8/12/2024 | 4 | 72294 | 14872 | -12661 | 22277 | 6365 | -5419 | 0.312 | 463 | 82 | 0.177
8/12/2024 | 5 | 72637 | 14902 | -12602 | 22315 | 6378 | -5394 | 0.311 | 546 | 111 | 0.203
8/12/2024 | 6 | 75222 | 15759 | -13105 | 22946 | 6745 | -5609 | 0.309 | 1019 | 227 | 0.223
8/12/2024 | 7 | 79246 | 17162 | -14815 | 23467 | 7345 | -6341 | 0.3 | 1190 | 273 | 0.229
8/12/2024 | 8 | 83338 | 15709 | -13735 | 22327 | 6723 | -5878 | 0.272 | 515 | 27 | 0.052
8/12/2024 | 9 | 87490 | 15126 | -13647 | 21445 | 6474 | -5841 | 0.248 | 313 | 12 | 0.038
8/12/2024 | 10 | 90950 | 14824 | -13788 | 21494 | 6345 | -5901 | 0.238 | 347 | 5 | 0.014
8/12/2024 | 11 | 93654 | 14867 | -13640 | 21712 | 6363 | -5838 | 0.234 | 175 | 3 | 0.017
8/12/2024 | 12 | 97007 | 15051 | -14192 | 22233 | 6442 | -6074 | 0.231 | 259 | 0 | 0
8/12/2024 | 13 | 100958 | 15633 | -14795 | 23394 | 6691 | -6332 | 0.233 | 287 | 0 | 0
8/12/2024 | 14 | 104238 | 16621 | -15721 | 24056 | 7114 | -6729 | 0.232 | 345 | 0 | 0
8/12/2024 | 15 | 107258 | 18519 | -17046 | 24197 | 7926 | -7296 | 0.228 | 449 | 8 | 0.018
8/12/2024 | 16 | 110835 | 18699 | -17512 | 24761 | 8003 | -7495 | 0.226 | 394 | 15 | 0.038
8/12/2024 | 17 | 113030 | 20177 | -18534 | 26252 | 8636 | -7932 | 0.235 | 63 | 0 | 0
8/12/2024 | 18 | 114087 | 20322 | -18841 | 27880 | 8698 | -8064 | 0.247 | 454 | 0 | 0
8/12/2024 | 19 | 112654 | 20766 | -19254 | 29129 | 8888 | -8241 | 0.261 | 634 | 74 | 0.117
8/12/2024 | 20 | 109212 | 21567 | -19628 | 30479 | 9231 | -8401 | 0.282 | 1350 | 290 | 0.215
8/12/2024 | 21 | 105043 | 21171 | -18930 | 29882 | 9061 | -8102 | 0.287 | 906 | 166 | 0.183
8/12/2024 | 22 | 100109 | 20718 | -18597 | 29268 | 8867 | -7959 | 0.295 | 1017 | 221 | 0.217
8/12/2024 | 23 | 92495 | 17870 | -15451 | 27618 | 7648 | -6613 | 0.302 | 513 | 23 | 0.045
8/12/2024 | 24 | 84971 | 17362 | -14739 | 25907 | 7431 | -6308 | 0.309 | 443 | 65 | 0.147
8/13/2024 | 1 | 80486 | 16521 | -14668 | 24275 | 7071 | -6278 | 0.304 | 449 | 53 | 0.118
8/13/2024 | 2 | 76205 | 16579 | -14570 | 23090 | 7096 | -6236 | 0.306 | 282 | 10 | 0.035
8/13/2024 | 3 | 73506 | 16257 | -14312 | 21995 | 6958 | -6125 | 0.303 | 374 | 36 | 0.096
8/13/2024 | 4 | 71871 | 16139 | -14136 | 21689 | 6908 | -6050 | 0.305 | 304 | 0 | 0
8/13/2024 | 5 | 72686 | 15898 | -13937 | 22032 | 6805 | -5965 | 0.306 | 278 | 0 | 0
8/13/2024 | 6 | 75207 | 16353 | -14206 | 22647 | 6999 | -6080 | 0.305 | 439 | 30 | 0.068
8/13/2024 | 7 | 79338 | 17027 | -15055 | 22590 | 7287 | -6443 | 0.288 | 1477 | 366 | 0.248
8/13/2024 | 8 | 82501 | 15474 | -13788 | 20945 | 6623 | -5901 | 0.257 | 333 | 1 | 0.003
8/13/2024 | 9 | 84832 | 14535 | -12986 | 19326 | 6221 | -5558 | 0.231 | 99 | 0 | 0
8/13/2024 | 10 | 87605 | 14340 | -12872 | 19796 | 6137 | -5509 | 0.229 | 3 | 0 | 0
8/13/2024 | 11 | 89984 | 14460 | -12962 | 20009 | 6189 | -5548 | 0.226 | 0 | 0 | 0
8/13/2024 | 12 | 92724 | 14727 | -13204 | 20550 | 6303 | -5651 | 0.225 | 0 | 0 | 0
8/13/2024 | 13 | 96057 | 14623 | -13620 | 20957 | 6259 | -5829 | 0.22 | 0 | 0 | 0
8/13/2024 | 14 | 100054 | 15896 | -14807 | 21383 | 6804 | -6337 | 0.216 | 0 | 0 | 0
8/13/2024 | 15 | 103758 | 17483 | -16232 | 22021 | 7483 | -6947 | 0.215 | 0 | 0 | 0
8/13/2024 | 16 | 108045 | 17643 | -16759 | 23114 | 7551 | -7173 | 0.216 | 0 | 0 | 0
8/13/2024 | 17 | 110063 | 19437 | -18405 | 23242 | 8319 | -7877 | 0.213 | 0 | 0 | 0
8/13/2024 | 18 | 111959 | 19766 | -18640 | 24860 | 8460 | -7978 | 0.224 | 410 | 0 | 0
8/13/2024 | 19 | 111595 | 20557 | -19094 | 27641 | 8799 | -8172 | 0.25 | 662 | 17 | 0.026
8/13/2024 | 20 | 108404 | 20840 | -19384 | 29396 | 8919 | -8296 | 0.273 | 788 | 0 | 0
8/13/2024 | 21 | 104081 | 20262 | -18611 | 28707 | 8672 | -7966 | 0.278 | 714 | 6 | 0.008
8/13/2024 | 22 | 99434 | 19491 | -17525 | 27651 | 8342 | -7501 | 0.281 | 687 | 25 | 0.036
8/13/2024 | 23 | 92518 | 17163 | -15289 | 27175 | 7346 | -6544 | 0.296 | 396 | 0 | 0
8/13/2024 | 24 | 84979 | 16685 | -14515 | 25542 | 7141 | -6213 | 0.304 | 591 | 39 | 0.066
8/14/2024 | 1 | 79939 | 16749 | -14482 | 23726 | 7168 | -6198 | 0.3 | 683 | 18 | 0.026
8/14/2024 | 2 | 75892 | 16573 | -14415 | 22153 | 7093 | -6169 | 0.296 | 606 | 3 | 0.005
8/14/2024 | 3 | 73317 | 16176 | -14038 | 21842 | 6923 | -6008 | 0.302 | 617 | 0 | 0
8/14/2024 | 4 | 71607 | 15912 | -13954 | 21317 | 6810 | -5972 | 0.301 | 500 | 1 | 0.002
8/14/2024 | 5 | 72149 | 15519 | -13634 | 21482 | 6642 | -5835 | 0.301 | 420 | 0 | 0
8/14/2024 | 6 | 74815 | 15856 | -14018 | 22229 | 6786 | -6000 | 0.3 | 275 | 3 | 0.011
8/14/2024 | 7 | 78755 | 16258 | -14640 | 22408 | 6958 | -6266 | 0.287 | 585 | 114 | 0.195
8/14/2024 | 8 | 81918 | 15063 | -13581 | 20774 | 6447 | -5813 | 0.257 | 243 | 23 | 0.095
8/14/2024 | 9 | 85021 | 14298 | -13003 | 19278 | 6120 | -5565 | 0.23 | 0 | 0 | 0
8/14/2024 | 10 | 86733 | 14335 | -13158 | 19455 | 6136 | -5632 | 0.227 | 0 | 0 | 0
8/14/2024 | 11 | 89114 | 14362 | -13202 | 20008 | 6147 | -5650 | 0.227 | 0 | 0 | 0
8/14/2024 | 12 | 92685 | 14411 | -13094 | 20554 | 6168 | -5604 | 0.225 | 0 | 0 | 0
8/14/2024 | 13 | 96801 | 14553 | -13255 | 20972 | 6229 | -5673 | 0.219 | 0 | 0 | 0
8/14/2024 | 14 | 100755 | 15047 | -13372 | 21580 | 6440 | -5723 | 0.218 | 0 | 0 | 0
8/14/2024 | 15 | 105048 | 16392 | -14553 | 22469 | 7016 | -6229 | 0.218 | 0 | 0 | 0
8/14/2024 | 16 | 109836 | 17065 | -15409 | 23283 | 7304 | -6595 | 0.215 | 0 | 0 | 0
8/14/2024 | 17 | 113365 | 19002 | -17199 | 24467 | 8133 | -7361 | 0.219 | 0 | 0 | 0
8/14/2024 | 18 | 116116 | 19392 | -17734 | 27072 | 8300 | -7590 | 0.236 | 0 | 0 | 0
8/14/2024 | 19 | 115665 | 20585 | -18935 | 29821 | 8810 | -8104 | 0.26 | 0 | 0 | 0
8/14/2024 | 20 | 112180 | 20899 | -19191 | 30991 | 8945 | -8214 | 0.279 | 230 | 0 | 0
8/14/2024 | 21 | 108000 | 20454 | -18479 | 30504 | 8754 | -7909 | 0.285 | 380 | 3 | 0.008
8/14/2024 | 22 | 101953 | 19718 | -17578 | 29561 | 8439 | -7523 | 0.293 | 1000 | 195 | 0.195
8/14/2024 | 23 | 93536 | 16337 | -13883 | 28148 | 6992 | -5942 | 0.304 | 514 | 67 | 0.13
8/14/2024 | 24 | 85778 | 15168 | -12767 | 26230 | 6492 | -5464 | 0.309 | 796 | 158 | 0.198
8/15/2024 | 1 | 80774 | 14873 | -12424 | 24547 | 6366 | -5317 | 0.308 | 784 | 179 | 0.228
8/15/2024 | 2 | 75696 | 14982 | -12496 | 22934 | 6413 | -5348 | 0.307 | 459 | 37 | 0.081
8/15/2024 | 3 | 72608 | 14915 | -12562 | 21629 | 6384 | -5377 | 0.302 | 274 | 0 | 0
8/15/2024 | 4 | 71015 | 14776 | -12412 | 21341 | 6324 | -5312 | 0.305 | 179 | 5 | 0.028
8/15/2024 | 5 | 70876 | 14765 | -12274 | 21045 | 6319 | -5253 | 0.301 | 161 | 12 | 0.075
8/15/2024 | 6 | 73810 | 15210 | -12623 | 22323 | 6510 | -5403 | 0.307 | 227 | 10 | 0.044
8/15/2024 | 7 | 77595 | 16779 | -14538 | 22451 | 7181 | -6222 | 0.293 | 947 | 216 | 0.228
8/15/2024 | 8 | 81026 | 15743 | -13664 | 20104 | 6738 | -5848 | 0.253 | 283 | 1 | 0.004
8/15/2024 | 9 | 83819 | 15695 | -13612 | 18866 | 6718 | -5826 | 0.23 | 0 | 0 | 0
8/15/2024 | 10 | 86469 | 15619 | -13462 | 19074 | 6685 | -5762 | 0.226 | 0 | 0 | 0
8/15/2024 | 11 | 88740 | 15295 | -13235 | 19445 | 6546 | -5664 | 0.224 | 0 | 0 | 0
8/15/2024 | 12 | 92565 | 15035 | -13294 | 19856 | 6435 | -5690 | 0.218 | 0 | 0 | 0
8/15/2024 | 13 | 97646 | 15312 | -13648 | 21113 | 6554 | -5841 | 0.22 | 0 | 0 | 0
8/15/2024 | 14 | 102328 | 16454 | -14640 | 22230 | 7043 | -6266 | 0.221 | 0 | 0 | 0
8/15/2024 | 15 | 107273 | 17927 | -16465 | 23393 | 7673 | -7047 | 0.221 | 5 | 0 | 0
8/15/2024 | 16 | 112118 | 18819 | -17946 | 25136 | 8055 | -7681 | 0.226 | 232 | 0 | 0
8/15/2024 | 17 | 114985 | 20696 | -19725 | 26012 | 8858 | -8442 | 0.228 | 203 | 0 | 0
8/15/2024 | 18 | 117747 | 21016 | -19829 | 28073 | 8995 | -8487 | 0.24 | 315 | 0 | 0
8/15/2024 | 19 | 116141 | 21788 | -20427 | 30584 | 9325 | -8743 | 0.265 | 370 | 1 | 0.003
8/15/2024 | 20 | 112611 | 21792 | -19960 | 31630 | 9327 | -8543 | 0.283 | 753 | 74 | 0.098
8/15/2024 | 21 | 107912 | 21496 | -19557 | 30460 | 9200 | -8370 | 0.285 | 562 | 14 | 0.025
8/15/2024 | 22 | 102367 | 21066 | -19067 | 28534 | 9016 | -8161 | 0.282 | 829 | 21 | 0.025
8/15/2024 | 23 | 94116 | 17706 | -15083 | 27670 | 7578 | -6455 | 0.298 | 262 | 0 | 0
8/15/2024 | 24 | 86430 | 17100 | -14047 | 26332 | 7319 | -6012 | 0.309 | 233 | 2 | 0.009
8/16/2024 | 1 | 81584 | 16096 | -13603 | 25340 | 6889 | -5822 | 0.314 | 441 | 2 | 0.005
8/16/2024 | 2 | 76674 | 15821 | -13240 | 23844 | 6771 | -5667 | 0.315 | 252 | 0 | 0
8/16/2024 | 3 | 73731 | 14846 | -12347 | 23709 | 6354 | -5284 | 0.325 | 101 | 0 | 0
8/16/2024 | 4 | 71570 | 14752 | -12300 | 23200 | 6314 | -5264 | 0.328 | 277 | 0 | 0
8/16/2024 | 5 | 71915 | 14716 | -12436 | 23557 | 6298 | -5323 | 0.331 | 284 | 0 | 0
8/16/2024 | 6 | 74765 | 14072 | -12173 | 24136 | 6023 | -5210 | 0.325 | 502 | 12 | 0.024
8/16/2024 | 7 | 78173 | 16171 | -14452 | 23539 | 6921 | -6186 | 0.304 | 1174 | 259 | 0.221
8/16/2024 | 8 | 81875 | 14870 | -13230 | 21223 | 6364 | -5662 | 0.263 | 675 | 135 | 0.2
8/16/2024 | 9 | 85362 | 14240 | -12955 | 20051 | 6095 | -5545 | 0.238 | 201 | 2 | 0.01
8/16/2024 | 10 | 88647 | 13837 | -12861 | 20386 | 5922 | -5505 | 0.232 | 161 | 0 | 0
8/16/2024 | 11 | 91370 | 14050 | -13258 | 20868 | 6013 | -5674 | 0.23 | 113 | 0 | 0
8/16/2024 | 12 | 94935 | 14482 | -14065 | 21708 | 6198 | -6020 | 0.23 | 0 | 0 | 0
8/16/2024 | 13 | 99278 | 14972 | -14092 | 22873 | 6408 | -6031 | 0.232 | 0 | 0 | 0
8/16/2024 | 14 | 104000 | 15268 | -14248 | 23961 | 6535 | -6098 | 0.232 | 0 | 0 | 0
8/16/2024 | 15 | 108069 | 16647 | -15444 | 25102 | 7125 | -6610 | 0.234 | 180 | 0 | 0
8/16/2024 | 16 | 111881 | 18179 | -16459 | 26014 | 7781 | -7045 | 0.235 | 255 | 0 | 0
8/16/2024 | 17 | 115603 | 19927 | -18058 | 27543 | 8529 | -7729 | 0.241 | 91 | 0 | 0
8/16/2024 | 18 | 117825 | 20338 | -18685 | 29599 | 8705 | -7997 | 0.254 | 285 | 0 | 0
8/16/2024 | 19 | 115063 | 20889 | -18898 | 31123 | 8941 | -8089 | 0.273 | 5 | 0 | 0
8/16/2024 | 20 | 110925 | 21161 | -19032 | 31809 | 9057 | -8146 | 0.289 | 108 | 0 | 0
8/16/2024 | 21 | 105935 | 20764 | -18605 | 31293 | 8887 | -7963 | 0.298 | 322 | 0 | 0
8/16/2024 | 22 | 100554 | 20180 | -17759 | 30251 | 8637 | -7601 | 0.304 | 565 | 16 | 0.028
8/16/2024 | 23 | 93778 | 16162 | -13701 | 29596 | 6917 | -5864 | 0.318 | 144 | 1 | 0.007
8/16/2024 | 24 | 87734 | 15036 | -12505 | 28993 | 6435 | -5352 | 0.333 | 196 | 0 | 0
8/17/2024 | 1 | 82781 | 14359 | -11825 | 27947 | 6146 | -5061 | 0.34 | 479 | 1 | 0.002
8/17/2024 | 2 | 78387 | 14078 | -11437 | 27013 | 6025 | -4895 | 0.347 | 445 | 0 | 0
8/17/2024 | 3 | 75044 | 13067 | -10797 | 26115 | 5593 | -4621 | 0.35 | 164 | 0 | 0
8/17/2024 | 4 | 72740 | 13113 | -10715 | 25224 | 5612 | -4586 | 0.349 | 323 | 0 | 0
8/17/2024 | 5 | 71980 | 13211 | -10969 | 24689 | 5654 | -4695 | 0.346 | 446 | 0 | 0
8/17/2024 | 6 | 72438 | 13625 | -11370 | 24581 | 5832 | -4866 | 0.342 | 479 | 1 | 0.002
8/17/2024 | 7 | 73442 | 15815 | -13854 | 23599 | 6769 | -5929 | 0.324 | 786 | 108 | 0.137
8/17/2024 | 8 | 75111 | 15070 | -13139 | 20642 | 6450 | -5624 | 0.279 | 216 | 0 | 0
8/17/2024 | 9 | 78536 | 14605 | -12739 | 18796 | 6251 | -5452 | 0.244 | 0 | 0 | 0
8/17/2024 | 10 | 81876 | 14584 | -12843 | 18748 | 6242 | -5497 | 0.233 | 0 | 0 | 0
8/17/2024 | 11 | 84563 | 14707 | -12917 | 18587 | 6295 | -5529 | 0.224 | 0 | 0 | 0
8/17/2024 | 12 | 87888 | 15290 | -13407 | 18668 | 6544 | -5738 | 0.217 | 0 | 0 | 0
8/17/2024 | 13 | 91663 | 15767 | -14099 | 18980 | 6748 | -6034 | 0.211 | 0 | 0 | 0
8/17/2024 | 14 | 95165 | 16695 | -14638 | 19404 | 7145 | -6265 | 0.209 | 0 | 0 | 0
8/17/2024 | 15 | 98716 | 17547 | -15858 | 19362 | 7510 | -6787 | 0.2 | 0 | 0 | 0
8/17/2024 | 16 | 102747 | 17820 | -16073 | 20459 | 7627 | -6879 | 0.203 | 0 | 0 | 0
8/17/2024 | 17 | 105222 | 19519 | -17831 | 21788 | 8354 | -7632 | 0.211 | 0 | 0 | 0
8/17/2024 | 18 | 107235 | 20177 | -18489 | 23602 | 8636 | -7913 | 0.223 | 0 | 0 | 0
8/17/2024 | 19 | 106670 | 20262 | -18762 | 25386 | 8672 | -8030 | 0.241 | 0 | 0 | 0
8/17/2024 | 20 | 103469 | 20602 | -19094 | 26083 | 8817 | -8172 | 0.255 | 221 | 0 | 0
8/17/2024 | 21 | 100000 | 20572 | -18803 | 25619 | 8805 | -8048 | 0.259 | 275 | 0 | 0
8/17/2024 | 22 | 95288 | 20223 | -17916 | 25116 | 8655 | -7668 | 0.267 | 165 | 0 | 0
8/17/2024 | 23 | 90052 | 17946 | -15810 | 24392 | 7681 | -6767 | 0.275 | 18 | 0 | 0
8/17/2024 | 24 | 83727 | 16743 | -14413 | 23516 | 7166 | -6169 | 0.285 | 213 | 0 | 0
8/18/2024 | 1 | 79788 | 15673 | -13938 | 22765 | 6708 | -5966 | 0.288 | 267 | 0 | 0
8/18/2024 | 2 | 75785 | 15365 | -13756 | 21881 | 6576 | -5888 | 0.292 | 391 | 0 | 0
8/18/2024 | 3 | 72477 | 15208 | -13615 | 20815 | 6509 | -5827 | 0.29 | 362 | 0 | 0
8/18/2024 | 4 | 70445 | 14829 | -13261 | 20146 | 6347 | -5676 | 0.289 | 315 | 0 | 0
8/18/2024 | 5 | 69333 | 14859 | -13292 | 19775 | 6360 | -5689 | 0.288 | 342 | 2 | 0.006
8/18/2024 | 6 | 69263 | 14974 | -13297 | 19564 | 6409 | -5691 | 0.286 | 369 | 0 | 0
8/18/2024 | 7 | 69875 | 15169 | -13794 | 19423 | 6493 | -5904 | 0.281 | 685 | 127 | 0.185
8/18/2024 | 8 | 70789 | 14014 | -13003 | 17428 | 5998 | -5565 | 0.249 | 545 | 120 | 0.22
8/18/2024 | 9 | 73991 | 13193 | -12388 | 16171 | 5647 | -5302 | 0.221 | 98 | 0 | 0
8/18/2024 | 10 | 76587 | 12619 | -12486 | 16358 | 5401 | -5344 | 0.214 | 23 | 0 | 0
8/18/2024 | 11 | 78860 | 12709 | -12380 | 16591 | 5439 | -5299 | 0.211 | 0 | 0 | 0
8/18/2024 | 12 | 81762 | 12869 | -12015 | 17359 | 5508 | -5142 | 0.215 | 0 | 0 | 0
8/18/2024 | 13 | 85833 | 13282 | -12458 | 17960 | 5685 | -5332 | 0.211 | 0 | 0 | 0
8/18/2024 | 14 | 89905 | 13711 | -12415 | 18865 | 5868 | -5314 | 0.213 | 0 | 0 | 0
8/18/2024 | 15 | 93983 | 14687 | -13493 | 19866 | 6286 | -5775 | 0.214 | 0 | 0 | 0
8/18/2024 | 16 | 98265 | 14735 | -13986 | 21688 | 6307 | -5986 | 0.222 | 41 | 0 | 0
8/18/2024 | 17 | 101667 | 15971 | -15676 | 22747 | 6835 | -6709 | 0.224 | 259 | 0 | 0
8/18/2024 | 18 | 104539 | 17619 | -16968 | 25003 | 7541 | -7262 | 0.24 | 476 | 54 | 0.113
8/18/2024 | 19 | 104746 | 18010 | -16920 | 27518 | 7708 | -7242 | 0.264 | 495 | 37 | 0.075
8/18/2024 | 20 | 102541 | 18359 | -17209 | 28542 | 7858 | -7365 | 0.28 | 799 | 128 | 0.16
8/18/2024 | 21 | 99155 | 18231 | -16934 | 28560 | 7803 | -7248 | 0.29 | 569 | 77 | 0.135
8/18/2024 | 22 | 94361 | 17440 | -15973 | 27823 | 7464 | -6836 | 0.297 | 1472 | 285 | 0.194
8/18/2024 | 23 | 87730 | 15186 | -13005 | 27041 | 6500 | -5566 | 0.311 | 1026 | 227 | 0.221
8/18/2024 | 24 | 80581 | 14942 | -12492 | 25881 | 6395 | -5346 | 0.324 | 836 | 211 | 0.252
8/19/2024 | 1 | 76537 | 13919 | -11952 | 24925 | 5957 | -5116 | 0.328 | 1471 | 447 | 0.304
8/19/2024 | 2 | 72895 | 14016 | -11965 | 23703 | 5999 | -5121 | 0.328 | 1283 | 397 | 0.309
8/19/2024 | 3 | 70508 | 13647 | -11399 | 23689 | 5841 | -4879 | 0.339 | 1012 | 305 | 0.301
8/19/2024 | 4 | 69337 | 13249 | -10898 | 22781 | 5671 | -4664 | 0.332 | 983 | 273 | 0.278
8/19/2024 | 5 | 70240 | 13228 | -11135 | 23149 | 5662 | -4766 | 0.332 | 1144 | 329 | 0.288
8/19/2024 | 6 | 73117 | 13196 | -10905 | 24340 | 5648 | -4667 | 0.336 | 1020 | 188 | 0.184
8/19/2024 | 7 | 77125 | 16977 | -14741 | 24723 | 7266 | -6309 | 0.324 | 1349 | 391 | 0.29
8/19/2024 | 8 | 79997 | 16263 | -14130 | 22785 | 6961 | -6047 | 0.289 | 856 | 194 | 0.227
8/19/2024 | 9 | 83265 | 15090 | -13320 | 21022 | 6458 | -5701 | 0.256 | 233 | 13 | 0.056
8/19/2024 | 10 | 86104 | 14435 | -12897 | 20869 | 6178 | -5520 | 0.246 | 102 | 0 | 0
8/19/2024 | 11 | 89284 | 14296 | -12825 | 21163 | 6119 | -5489 | 0.24 | 43 | 0 | 0
8/19/2024 | 12 | 93709 | 14430 | -13369 | 22351 | 6176 | -5722 | 0.241 | 0 | 0 | 0
8/19/2024 | 13 | 98482 | 14699 | -14032 | 23156 | 6291 | -6006 | 0.236 | 0 | 0 | 0
8/19/2024 | 14 | 103569 | 15655 | -14535 | 24554 | 6700 | -6221 | 0.239 | 0 | 0 | 0
8/19/2024 | 15 | 108484 | 16892 | -15864 | 25986 | 7230 | -6790 | 0.241 | 0 | 0 | 0
8/19/2024 | 16 | 113162 | 17916 | -17240 | 27196 | 7668 | -7379 | 0.241 | 3 | 0 | 0
8/19/2024 | 17 | 116229 | 20451 | -19620 | 28188 | 8753 | -8397 | 0.244 | 364 | 0 | 0
8/19/2024 | 18 | 119445 | 21427 | -20803 | 29884 | 9171 | -8904 | 0.251 | 419 | 6 | 0.014
8/19/2024 | 19 | 117927 | 22148 | -21515 | 31846 | 9479 | -9208 | 0.271 | 403 | 0 | 0
8/19/2024 | 20 | 113141 | 22789 | -21793 | 32327 | 9754 | -9327 | 0.287 | 444 | 20 | 0.045
8/19/2024 | 21 | 107911 | 22224 | -21026 | 30715 | 9512 | -8999 | 0.286 | 441 | 1 | 0.002
8/19/2024 | 22 | 101858 | 20614 | -19626 | 29098 | 8823 | -8400 | 0.287 | 990 | 123 | 0.124
8/19/2024 | 23 | 93669 | 15680 | -14220 | 28776 | 6711 | -6086 | 0.309 | 433 | 2 | 0.005
8/19/2024 | 24 | 85470 | 15280 | -13281 | 27221 | 6540 | -5684 | 0.321 | 534 | 35 | 0.066
8/20/2024 | 1 | 80390 | 14871 | -13041 | 26126 | 6365 | -5582 | 0.327 | 329 | 0 | 0
8/20/2024 | 2 | 75415 | 15046 | -12907 | 24024 | 6440 | -5524 | 0.322 | 309 | 2 | 0.006
8/20/2024 | 3 | 72795 | 15259 | -13042 | 22959 | 6531 | -5582 | 0.319 | 372 | 12 | 0.032
8/20/2024 | 4 | 71065 | 15242 | -12919 | 22782 | 6524 | -5529 | 0.324 | 323 | 0 | 0
8/20/2024 | 5 | 71003 | 15168 | -12681 | 22859 | 6492 | -5428 | 0.326 | 317 | 5 | 0.016
8/20/2024 | 6 | 73312 | 15432 | -12744 | 23337 | 6605 | -5454 | 0.322 | 194 | 1 | 0.005
8/20/2024 | 7 | 76719 | 17701 | -15166 | 22990 | 7576 | -6491 | 0.304 | 654 | 125 | 0.191
8/20/2024 | 8 | 79376 | 16412 | -13935 | 20853 | 7024 | -5964 | 0.268 | 421 | 60 | 0.143
8/20/2024 | 9 | 82868 | 15228 | -13590 | 19427 | 6518 | -5817 | 0.238 | 78 | 0 | 0
8/20/2024 | 10 | 86212 | 14918 | -13596 | 19830 | 6385 | -5819 | 0.233 | 0 | 0 | 0
8/20/2024 | 11 | 89606 | 14913 | -13874 | 20369 | 6383 | -5938 | 0.23 | 0 | 0 | 0
8/20/2024 | 12 | 94116 | 14467 | -13951 | 21000 | 6192 | -5971 | 0.224 | 0 | 0 | 0
8/20/2024 | 13 | 100369 | 15157 | -15112 | 22422 | 6487 | -6468 | 0.223 | 0 | 0 | 0
8/20/2024 | 14 | 105130 | 15955 | -15806 | 23932 | 6829 | -6765 | 0.228 | 0 | 0 | 0
8/20/2024 | 15 | 110319 | 17510 | -17305 | 25642 | 7494 | -7406 | 0.233 | 0 | 0 | 0
8/20/2024 | 16 | 114927 | 18610 | -18370 | 27462 | 7965 | -7863 | 0.239 | 0 | 0 | 0
8/20/2024 | 17 | 117670 | 20754 | -20381 | 28528 | 8883 | -8723 | 0.243 | 0 | 0 | 0
8/20/2024 | 18 | 121057 | 22429 | -22095 | 30244 | 9600 | -9456 | 0.25 | 511 | 0 | 0
8/20/2024 | 19 | 119671 | 23172 | -22657 | 32397 | 9918 | -9697 | 0.271 | 251 | 0 | 0
8/20/2024 | 20 | 114194 | 24278 | -23008 | 32844 | 10391 | -9848 | 0.289 | 273 | 0 | 0
8/20/2024 | 21 | 109708 | 22172 | -21243 | 31642 | 9490 | -9092 | 0.29 | 405 | 7 | 0.017
8/20/2024 | 22 | 103776 | 21430 | -20346 | 30414 | 9172 | -8708 | 0.294 | 722 | 93 | 0.129
8/20/2024 | 23 | 95237 | 16834 | -15363 | 29504 | 7205 | -6575 | 0.312 | 407 | 3 | 0.007
8/20/2024 | 24 | 87350 | 15804 | -14005 | 28693 | 6764 | -5994 | 0.33 | 585 | 21 | 0.036
8/21/2024 | 1 | 82299 | 13927 | -12582 | 26739 | 5961 | -5385 | 0.327 | 743 | 19 | 0.026
8/21/2024 | 2 | 77585 | 13654 | -12051 | 25527 | 5844 | -5158 | 0.331 | 350 | 3 | 0.009
8/21/2024 | 3 | 74138 | 13298 | -11468 | 24558 | 5692 | -4908 | 0.334 | 157 | 0 | 0
8/21/2024 | 4 | 72434 | 13013 | -11194 | 23966 | 5570 | -4791 | 0.333 | 170 | 1 | 0.006
8/21/2024 | 5 | 72746 | 12935 | -11150 | 24087 | 5536 | -4772 | 0.333 | 341 | 0 | 0
8/21/2024 | 6 | 75933 | 13158 | -11424 | 25326 | 5632 | -4890 | 0.336 | 274 | 0 | 0
8/21/2024 | 7 | 80015 | 14824 | -13412 | 24770 | 6345 | -5740 | 0.312 | 764 | 19 | 0.025
8/21/2024 | 8 | 83413 | 13724 | -12474 | 23196 | 5874 | -5339 | 0.28 | 394 | 1 | 0.003
8/21/2024 | 9 | 86072 | 13062 | -12130 | 21581 | 5591 | -5192 | 0.253 | 11 | 0 | 0
8/21/2024 | 10 | 88656 | 13107 | -12339 | 21432 | 5610 | -5281 | 0.243 | 0 | 0 | 0
8/21/2024 | 11 | 91418 | 13298 | -12492 | 22041 | 5692 | -5347 | 0.243 | 7 | 0 | 0
8/21/2024 | 12 | 94962 | 13443 | -12986 | 23211 | 5753 | -5558 | 0.245 | 0 | 0 | 0
8/21/2024 | 13 | 98078 | 14496 | -13827 | 24157 | 6204 | -5918 | 0.248 | 0 | 0 | 0
8/21/2024 | 14 | 75868 | 11812 | -10816 | 18686 | 5055 | -4629 | 0.249 | 0 | 0 | 0
8/21/2024 | 15 | 103853 | 17092 | -15442 | 25297 | 7315 | -6609 | 0.246 | 294 | 0 | 0
8/21/2024 | 16 | 88978 | 14621 | -13146 | 21498 | 6258 | -5626 | 0.245 | 159 | 0 | 0
8/21/2024 | 17 | 109760 | 19822 | -18075 | 26024 | 8484 | -7736 | 0.24 | 379 | 0 | 0
8/21/2024 | 18 | 111611 | 21421 | -19613 | 27612 | 9168 | -8394 | 0.25 | 389 | 0 | 0
8/21/2024 | 19 | 110609 | 21919 | -20043 | 29690 | 9381 | -8578 | 0.271 | 233 | 0 | 0
8/21/2024 | 20 | 106832 | 22167 | -20336 | 30163 | 9487 | -8704 | 0.285 | 623 | 0 | 0
8/21/2024 | 21 | 103188 | 20860 | -18881 | 29676 | 8928 | -8081 | 0.29 | 660 | 0 | 0
8/21/2024 | 22 | 97623 | 20185 | -18221 | 28226 | 8639 | -7799 | 0.292 | 822 | 3 | 0.004
8/21/2024 | 23 | 90822 | 15676 | -14041 | 27526 | 6709 | -6010 | 0.305 | 502 | 0 | 0
8/21/2024 | 24 | 84105 | 14353 | -12644 | 26628 | 6143 | -5412 | 0.319 | 650 | 29 | 0.045
8/22/2024 | 1 | 79987 | 12512 | -10934 | 25970 | 5355 | -4680 | 0.327 | 449 | 0 | 0
8/22/2024 | 2 | 63682 | 10198 | -8989 | 21082 | 4365 | -3847 | 0.333 | 168 | 0 | 0
8/22/2024 | 3 | 73780 | 11753 | -10340 | 24610 | 5030 | -4426 | 0.335 | 352 | 0 | 0
8/22/2024 | 4 | 72106 | 11665 | -10221 | 24167 | 4993 | -4375 | 0.337 | 341 | 0 | 0
8/22/2024 | 5 | 72409 | 11809 | -10282 | 24239 | 5054 | -4401 | 0.337 | 275 | 0 | 0
8/22/2024 | 6 | 75005 | 12328 | -10577 | 24589 | 5276 | -4527 | 0.33 | 291 | 7 | 0.024
8/22/2024 | 7 | 79022 | 15672 | -13939 | 24748 | 6708 | -5966 | 0.316 | 675 | 123 | 0.182
8/22/2024 | 8 | 82104 | 14579 | -12848 | 23435 | 6240 | -5499 | 0.288 | 261 | 0 | 0
8/22/2024 | 9 | 84269 | 14350 | -12670 | 21252 | 6142 | -5423 | 0.256 | 0 | 0 | 0
8/22/2024 | 10 | 86043 | 13991 | -12587 | 21218 | 5988 | -5387 | 0.25 | 0 | 0 | 0
8/22/2024 | 11 | 88651 | 13945 | -12864 | 21333 | 5969 | -5506 | 0.243 | 0 | 0 | 0
8/22/2024 | 12 | 91572 | 14039 | -13232 | 21430 | 6009 | -5663 | 0.236 | 0 | 0 | 0
8/22/2024 | 13 | 94838 | 14534 | -14021 | 21610 | 6220 | -6001 | 0.229 | 0 | 0 | 0
8/22/2024 | 14 | 98262 | 15409 | -14686 | 21872 | 6595 | -6285 | 0.224 | 0 | 0 | 0
8/22/2024 | 15 | 75591 | 12217 | -11535 | 16796 | 5229 | -4937 | 0.224 | 0 | 0 | 0
8/22/2024 | 16 | 104068 | 16908 | -15983 | 23473 | 7237 | -6841 | 0.227 | 0 | 0 | 0
8/22/2024 | 17 | 106199 | 18440 | -17280 | 24212 | 7892 | -7396 | 0.23 | 0 | 0 | 0
8/22/2024 | 18 | 107545 | 18959 | -17825 | 25301 | 8114 | -7629 | 0.237 | 582 | 31 | 0.053
8/22/2024 | 19 | 105809 | 20067 | -18553 | 27321 | 8589 | -7941 | 0.261 | 729 | 29 | 0.04
8/22/2024 | 20 | 102285 | 20232 | -18708 | 27671 | 8659 | -8007 | 0.273 | 796 | 95 | 0.119
8/22/2024 | 21 | 99248 | 19921 | -18173 | 26919 | 8526 | -7778 | 0.274 | 687 | 67 | 0.098
8/22/2024 | 22 | 94438 | 19112 | -17226 | 25738 | 8180 | -7373 | 0.276 | 1039 | 213 | 0.205
8/22/2024 | 23 | 87436 | 15375 | -13354 | 24699 | 6581 | -5716 | 0.286 | 618 | 106 | 0.172
8/22/2024 | 24 | 81280 | 14185 | -12221 | 23037 | 6071 | -5231 | 0.287 | 879 | 213 | 0.242
8/23/2024 | 1 | 76950 | 14688 | -13084 | 21314 | 6287 | -5600 | 0.28 | 328 | 10 | 0.03
8/23/2024 | 2 | 73608 | 14537 | -12925 | 20653 | 6222 | -5532 | 0.284 | 373 | 42 | 0.113
8/23/2024 | 3 | 71154 | 14724 | -13070 | 20050 | 6302 | -5594 | 0.285 | 483 | 55 | 0.114
8/23/2024 | 4 | 69579 | 14674 | -12848 | 19822 | 6281 | -5499 | 0.289 | 474 | 46 | 0.097
8/23/2024 | 5 | 69944 | 14564 | -12712 | 19874 | 6233 | -5441 | 0.288 | 370 | 10 | 0.027
8/23/2024 | 6 | 72603 | 14901 | -13062 | 20525 | 6378 | -5590 | 0.286 | 17 | 0 | 0
8/23/2024 | 7 | 76314 | 15867 | -14143 | 20113 | 6791 | -6053 | 0.267 | 531 | 84 | 0.158
8/23/2024 | 8 | 79593 | 15213 | -13854 | 18626 | 6511 | -5930 | 0.237 | 304 | 32 | 0.105
8/23/2024 | 9 | 81374 | 14911 | -13597 | 16221 | 6382 | -5820 | 0.203 | 12 | 0 | 0
8/23/2024 | 10 | 83757 | 14846 | -13701 | 15639 | 6354 | -5864 | 0.19 | 0 | 0 | 0
8/23/2024 | 11 | 85301 | 15063 | -14017 | 15523 | 6447 | -5999 | 0.185 | 0 | 0 | 0
8/23/2024 | 12 | 87243 | 15202 | -14290 | 15987 | 6507 | -6116 | 0.186 | 0 | 0 | 0
8/23/2024 | 13 | 89873 | 15805 | -14763 | 16198 | 6764 | -6318 | 0.183 | 0 | 0 | 0
8/23/2024 | 14 | 92060 | 16240 | -15146 | 16232 | 6951 | -6482 | 0.179 | 0 | 0 | 0
8/23/2024 | 15 | 94865 | 17401 | -16286 | 16480 | 7448 | -6970 | 0.177 | 0 | 0 | 0
8/23/2024 | 16 | 97302 | 17535 | -16556 | 17015 | 7505 | -7086 | 0.177 | 0 | 0 | 0
8/23/2024 | 17 | 97903 | 18556 | -17059 | 17965 | 7942 | -7301 | 0.187 | 0 | 0 | 0
8/23/2024 | 18 | 98789 | 18879 | -17222 | 19484 | 8080 | -7371 | 0.201 | 211 | 3 | 0.014
8/23/2024 | 19 | 96864 | 19159 | -17238 | 21762 | 8200 | -7378 | 0.229 | 30 | 0 | 0
8/23/2024 | 20 | 93352 | 19267 | -17204 | 22367 | 8246 | -7363 | 0.244 | 257 | 0 | 0
8/23/2024 | 21 | 91407 | 18801 | -16538 | 22309 | 8047 | -7078 | 0.249 | 408 | 40 | 0.098
8/23/2024 | 22 | 87371 | 18290 | -15954 | 21951 | 7828 | -6828 | 0.256 | 565 | 44 | 0.078
8/23/2024 | 23 | 82311 | 15490 | -13159 | 22055 | 6630 | -5632 | 0.272 | 749 | 105 | 0.14
8/23/2024 | 24 | 77632 | 15266 | -13008 | 21792 | 6534 | -5567 | 0.285 | 906 | 161 | 0.178
8/24/2024 | 1 | 74481 | 14340 | -12660 | 21186 | 6137 | -5419 | 0.288 | 1461 | 396 | 0.271
8/24/2024 | 2 | 70714 | 14317 | -12655 | 20182 | 6128 | -5416 | 0.289 | 1915 | 596 | 0.311
8/24/2024 | 3 | 67962 | 13905 | -12111 | 19524 | 5951 | -5183 | 0.291 | 1713 | 514 | 0.3
8/24/2024 | 4 | 66475 | 13739 | -11875 | 19192 | 5880 | -5082 | 0.293 | 1582 | 417 | 0.264
8/24/2024 | 5 | 66639 | 13732 | -11883 | 19022 | 5877 | -5086 | 0.289 | 1852 | 496 | 0.268
8/24/2024 | 6 | 67131 | 14394 | -12241 | 19221 | 6161 | -5239 | 0.291 | 1477 | 354 | 0.24
8/24/2024 | 7 | 67218 | 15353 | -12918 | 18852 | 6571 | -5529 | 0.286 | 1215 | 266 | 0.219
8/24/2024 | 8 | 70050 | 14427 | -12704 | 17187 | 6175 | -5437 | 0.25 | 127 | 13 | 0.102
8/24/2024 | 9 | 73329 | 14595 | -13148 | 14764 | 6247 | -5627 | 0.206 | 0 | 0 | 0
8/24/2024 | 10 | 75528 | 14634 | -13230 | 14398 | 6263 | -5663 | 0.195 | 0 | 0 | 0
8/24/2024 | 11 | 76521 | 14108 | -12706 | 14273 | 6038 | -5438 | 0.191 | 0 | 0 | 0
8/24/2024 | 12 | 77639 | 14862 | -13285 | 14284 | 6361 | -5686 | 0.189 | 0 | 0 | 0
8/24/2024 | 13 | 78623 | 15465 | -13746 | 13978 | 6619 | -5883 | 0.183 | 0 | 0 | 0
8/24/2024 | 14 | 80652 | 16036 | -14028 | 14456 | 6863 | -6004 | 0.185 | 0 | 0 | 0
8/24/2024 | 15 | 82476 | 17465 | -15278 | 14704 | 7475 | -6539 | 0.185 | 0 | 0 | 0
8/24/2024 | 16 | 86325 | 17577 | -15737 | 15106 | 7523 | -6735 | 0.18 | 0 | 0 | 0
8/24/2024 | 17 | 89662 | 17901 | -16654 | 15714 | 7662 | -7128 | 0.179 | 0 | 0 | 0
8/24/2024 | 18 | 90965 | 17888 | -16413 | 17279 | 7656 | -7025 | 0.194 | 0 | 0 | 0
8/24/2024 | 19 | 90757 | 19394 | -17552 | 19713 | 8301 | -7512 | 0.221 | 94 | 0 | 0
8/24/2024 | 20 | 89164 | 19943 | -17877 | 20479 | 8536 | -7651 | 0.234 | 283 | 0 | 0
8/24/2024 | 21 | 87373 | 19513 | -17122 | 20389 | 8352 | -7328 | 0.239 | 279 | 0 | 0
8/24/2024 | 22 | 83924 | 18921 | -16315 | 20242 | 8098 | -6983 | 0.247 | 278 | 0 | 0
8/24/2024 | 23 | 80020 | 16050 | -13757 | 20253 | 6869 | -5888 | 0.258 | 229 | 8 | 0.035
8/24/2024 | 24 | 75086 | 15622 | -13304 | 19764 | 6686 | -5694 | 0.268 | 343 | 34 | 0.099
8/25/2024 | 1 | 71667 | 14620 | -12298 | 17995 | 6257 | -5264 | 0.257 | 1147 | 298 | 0.26
8/25/2024 | 2 | 68335 | 14369 | -11994 | 17362 | 6150 | -5133 | 0.26 | 1513 | 452 | 0.299
8/25/2024 | 3 | 65672 | 14173 | -11667 | 16994 | 6066 | -4993 | 0.265 | 1480 | 437 | 0.295
8/25/2024 | 4 | 64031 | 13977 | -11359 | 16703 | 5982 | -4862 | 0.267 | 1370 | 395 | 0.288
8/25/2024 | 5 | 63296 | 13694 | -10969 | 16702 | 5861 | -4695 | 0.271 | 1175 | 334 | 0.284
8/25/2024 | 6 | 63276 | 13707 | -10938 | 16623 | 5866 | -4681 | 0.27 | 858 | 214 | 0.249
8/25/2024 | 7 | 64371 | 14386 | -11942 | 16568 | 6157 | -5111 | 0.264 | 671 | 173 | 0.258
8/25/2024 | 8 | 65808 | 12776 | -10660 | 14597 | 5468 | -4563 | 0.228 | 93 | 0 | 0
8/25/2024 | 9 | 68523 | 11758 | -10273 | 12866 | 5033 | -4397 | 0.193 | 0 | 0 | 0
8/25/2024 | 10 | 70300 | 11572 | -10206 | 12864 | 4953 | -4368 | 0.188 | 0 | 0 | 0
8/25/2024 | 11 | 71581 | 10803 | -9403 | 13205 | 4624 | -4024 | 0.189 | 0 | 0 | 0
8/25/2024 | 12 | 73683 | 10622 | -9332 | 13504 | 4546 | -3994 | 0.187 | 0 | 0 | 0
8/25/2024 | 13 | 76381 | 11048 | -10030 | 13887 | 4728 | -4293 | 0.185 | 0 | 0 | 0
8/25/2024 | 14 | 79713 | 11184 | -10065 | 14424 | 4787 | -4308 | 0.184 | 0 | 0 | 0
8/25/2024 | 15 | 82687 | 12224 | -11128 | 14889 | 5232 | -4763 | 0.183 | 0 | 0 | 0
8/25/2024 | 16 | 88141 | 11673 | -10716 | 16842 | 4996 | -4587 | 0.194 | 0 | 0 | 0
8/25/2024 | 17 | 92522 | 12135 | -10967 | 19190 | 5194 | -4694 | 0.21 | 0 | 0 | 0
8/25/2024 | 18 | 95322 | 13782 | -12170 | 21608 | 5899 | -5209 | 0.23 | 0 | 0 | 0
8/25/2024 | 19 | 96024 | 15495 | -13631 | 24675 | 6632 | -5834 | 0.26 | 134 | 0 | 0
8/25/2024 | 20 | 94153 | 15747 | -14032 | 25551 | 6740 | -6005 | 0.274 | 333 | 6 | 0.018
8/25/2024 | 21 | 91348 | 15454 | -13280 | 25313 | 6614 | -5684 | 0.281 | 492 | 29 | 0.059
8/25/2024 | 22 | 86930 | 14303 | -12174 | 25027 | 6122 | -5211 | 0.291 | 678 | 78 | 0.115
8/25/2024 | 23 | 80429 | 13432 | -10810 | 23853 | 5749 | -4627 | 0.301 | 580 | 96 | 0.166
8/25/2024 | 24 | 74375 | 13291 | -10628 | 22696 | 5688 | -4549 | 0.309 | 678 | 103 | 0.152
8/26/2024 | 1 | 70684 | 12719 | -10475 | 21877 | 5444 | -4483 | 0.313 | 981 | 234 | 0.239
8/26/2024 | 2 | 67626 | 12270 | -10182 | 21273 | 5251 | -4358 | 0.318 | 1094 | 274 | 0.25
8/26/2024 | 3 | 65299 | 12395 | -10224 | 21089 | 5305 | -4376 | 0.326 | 1248 | 369 | 0.296
8/26/2024 | 4 | 64287 | 12088 | -9909 | 20944 | 5174 | -4241 | 0.329 | 1384 | 443 | 0.32
8/26/2024 | 5 | 65385 | 11993 | -9757 | 21305 | 5133 | -4176 | 0.329 | 1306 | 421 | 0.322
8/26/2024 | 6 | 68684 | 12230 | -10143 | 22078 | 5234 | -4341 | 0.325 | 607 | 122 | 0.201
8/26/2024 | 7 | 72971 | 14630 | -12667 | 23220 | 6262 | -5422 | 0.321 | 705 | 97 | 0.138
8/26/2024 | 8 | 76683 | 14055 | -12247 | 21466 | 6016 | -5242 | 0.283 | 525 | 97 | 0.185
8/26/2024 | 9 | 78826 | 13374 | -11723 | 18776 | 5724 | -5017 | 0.242 | 249 | 28 | 0.112
8/26/2024 | 10 | 80524 | 13205 | -11765 | 18745 | 5652 | -5035 | 0.236 | 32 | 0 | 0
8/26/2024 | 11 | 81989 | 13313 | -11764 | 18905 | 5698 | -5035 | 0.234 | 0 | 0 | 0
8/26/2024 | 12 | 85136 | 13612 | -12143 | 19089 | 5826 | -5197 | 0.228 | 0 | 0 | 0
8/26/2024 | 13 | 88966 | 14338 | -12754 | 19904 | 6137 | -5459 | 0.227 | 0 | 0 | 0
8/26/2024 | 14 | 93335 | 14951 | -13336 | 20382 | 6399 | -5708 | 0.222 | 0 | 0 | 0
8/26/2024 | 15 | 98011 | 16219 | -14597 | 21395 | 6942 | -6247 | 0.222 | 0 | 0 | 0
8/26/2024 | 16 | 103019 | 16400 | -14590 | 22868 | 7019 | -6245 | 0.226 | 12 | 0 | 0
8/26/2024 | 17 | 106026 | 17872 | -15688 | 24112 | 7649 | -6714 | 0.231 | 337 | 0 | 0
8/26/2024 | 18 | 108432 | 18777 | -16585 | 26419 | 8036 | -7099 | 0.247 | 626 | 0 | 0
8/26/2024 | 19 | 107598 | 19482 | -17432 | 29518 | 8338 | -7461 | 0.277 | 220 | 0 | 0
8/26/2024 | 20 | 103807 | 20008 | -17748 | 30494 | 8564 | -7596 | 0.297 | 170 | 0 | 0
8/26/2024 | 21 | 100012 | 19036 | -16729 | 28977 | 8147 | -7160 | 0.293 | 851 | 11 | 0.013
8/26/2024 | 22 | 93948 | 17956 | -15782 | 28349 | 7685 | -6755 | 0.305 | 946 | 68 | 0.072
8/26/2024 | 23 | 86978 | 13547 | -12090 | 27316 | 5798 | -5175 | 0.316 | 757 | 63 | 0.083
8/26/2024 | 24 | 80024 | 13022 | -11750 | 25524 | 5574 | -5029 | 0.321 | 916 | 132 | 0.144
8/27/2024 | 1 | 75572 | 15355 | -13850 | 23626 | 6572 | -5928 | 0.315 | 351 | 66 | 0.188
8/27/2024 | 2 | 71905 | 15558 | -14061 | 21907 | 6659 | -6018 | 0.307 | 458 | 111 | 0.242
8/27/2024 | 3 | 69419 | 15397 | -13940 | 20307 | 6590 | -5966 | 0.295 | 562 | 141 | 0.251
8/27/2024 | 4 | 68350 | 15329 | -14020 | 19807 | 6561 | -6001 | 0.292 | 638 | 167 | 0.262
8/27/2024 | 5 | 68861 | 15655 | -14351 | 20201 | 6700 | -6142 | 0.296 | 547 | 134 | 0.245
8/27/2024 | 6 | 71720 | 16167 | -14660 | 20868 | 6919 | -6274 | 0.294 | 361 | 40 | 0.111
8/27/2024 | 7 | 76430 | 17592 | -16273 | 21380 | 7530 | -6965 | 0.282 | 903 | 224 | 0.248
8/27/2024 | 8 | 78830 | 16059 | -14700 | 19473 | 6873 | -6292 | 0.25 | 757 | 176 | 0.232
8/27/2024 | 9 | 80787 | 15588 | -14531 | 17675 | 6671 | -6219 | 0.221 | 104 | 0 | 0
8/27/2024 | 10 | 82653 | 15274 | -14489 | 17619 | 6537 | -6201 | 0.215 | 31 | 0 | 0
8/27/2024 | 11 | 84438 | 15269 | -14265 | 17838 | 6535 | -6105 | 0.214 | 0 | 0 | 0
8/27/2024 | 12 | 87229 | 15923 | -14513 | 18143 | 6815 | -6212 | 0.211 | 0 | 0 | 0
8/27/2024 | 13 | 90643 | 16619 | -15143 | 18572 | 7113 | -6481 | 0.208 | 0 | 0 | 0
8/27/2024 | 14 | 94942 | 17352 | -15919 | 19424 | 7427 | -6813 | 0.208 | 0 | 0 | 0
8/27/2024 | 15 | 99404 | 19069 | -17728 | 20309 | 8161 | -7588 | 0.207 | 0 | 0 | 0
8/27/2024 | 16 | 104466 | 19140 | -17772 | 21865 | 8192 | -7607 | 0.212 | 277 | 0 | 0
8/27/2024 | 17 | 108319 | 20021 | -18600 | 23177 | 8569 | -7961 | 0.217 | 435 | 0 | 0
8/27/2024 | 18 | 110589 | 21077 | -19445 | 25360 | 9021 | -8322 | 0.232 | 416 | 45 | 0.108
8/27/2024 | 19 | 109713 | 20998 | -19384 | 28163 | 8987 | -8296 | 0.259 | 0 | 0 | 0
8/27/2024 | 20 | 105526 | 21394 | -19063 | 28563 | 9156 | -8159 | 0.274 | 24 | 0 | 0
8/27/2024 | 21 | 101805 | 20389 | -18009 | 26773 | 8726 | -7708 | 0.267 | 490 | 70 | 0.143
8/27/2024 | 22 | 96164 | 19743 | -17189 | 25688 | 8450 | -7357 | 0.271 | 729 | 113 | 0.155
8/27/2024 | 23 | 88026 | 17392 | -14378 | 24638 | 7444 | -6154 | 0.285 | 754 | 88 | 0.117
8/27/2024 | 24 | 67543 | 14535 | -11819 | 19125 | 6221 | -5058 | 0.289 | 821 | 166 | 0.202
8/28/2024 | 1 | 75616 | 15653 | -12221 | 22229 | 6700 | -5231 | 0.3 | 1125 | 259 | 0.23
8/28/2024 | 2 | 72271 | 15420 | -11967 | 21267 | 6600 | -5122 | 0.3 | 837 | 176 | 0.21
8/28/2024 | 3 | 69972 | 15029 | -11752 | 20436 | 6433 | -5030 | 0.298 | 677 | 189 | 0.279
8/28/2024 | 4 | 68806 | 14486 | -11492 | 20122 | 6200 | -4919 | 0.298 | 826 | 217 | 0.263
8/28/2024 | 5 | 69781 | 14228 | -11323 | 20614 | 6090 | -4846 | 0.301 | 679 | 135 | 0.199
8/28/2024 | 6 | 73451 | 14772 | -12317 | 22041 | 6323 | -5272 | 0.304 | 424 | 14 | 0.033
8/28/2024 | 7 | 77606 | 15600 | -13085 | 22574 | 6677 | -5600 | 0.295 | 1097 | 256 | 0.233
8/28/2024 | 8 | 80358 | 14850 | -12578 | 20953 | 6356 | -5383 | 0.265 | 436 | 64 | 0.147
8/28/2024 | 9 | 82089 | 14646 | -12507 | 18680 | 6268 | -5353 | 0.233 | 111 | 4 | 0.036
8/28/2024 | 10 | 83528 | 14603 | -12630 | 18785 | 6250 | -5406 | 0.23 | 0 | 0 | 0
8/28/2024 | 11 | 84590 | 14029 | -12557 | 19012 | 6004 | -5374 | 0.228 | 0 | 0 | 0
8/28/2024 | 12 | 86588 | 14318 | -13211 | 19198 | 6128 | -5654 | 0.224 | 0 | 0 | 0
8/28/2024 | 13 | 89601 | 14237 | -13353 | 19461 | 6093 | -5715 | 0.219 | 0 | 0 | 0
8/28/2024 | 14 | 93311 | 14583 | -13648 | 20408 | 6242 | -5841 | 0.221 | 0 | 0 | 0
8/28/2024 | 15 | 98235 | 15238 | -14803 | 21216 | 6522 | -6336 | 0.217 | 0 | 0 | 0
8/28/2024 | 16 | 102131 | 16097 | -15506 | 22501 | 6890 | -6637 | 0.222 | 0 | 0 | 0
8/28/2024 | 17 | 104809 | 18518 | -17037 | 23251 | 7926 | -7292 | 0.225 | 411 | 0 | 0
8/28/2024 | 18 | 107574 | 19344 | -17577 | 25523 | 8279 | -7523 | 0.24 | 554 | 0 | 0
8/28/2024 | 19 | 106827 | 19902 | -17864 | 27354 | 8518 | -7646 | 0.259 | 169 | 0 | 0
8/28/2024 | 20 | 103245 | 19506 | -17743 | 28513 | 8349 | -7594 | 0.279 | 71 | 0 | 0
8/28/2024 | 21 | 99346 | 18909 | -16693 | 27945 | 8093 | -7144 | 0.284 | 279 | 0 | 0
8/28/2024 | 22 | 93220 | 18175 | -15412 | 26390 | 7779 | -6596 | 0.287 | 758 | 101 | 0.133
8/28/2024 | 23 | 86417 | 15902 | -13453 | 25787 | 6806 | -5758 | 0.302 | 521 | 71 | 0.136
8/28/2024 | 24 | 79599 | 15513 | -12856 | 24178 | 6640 | -5502 | 0.308 | 674 | 114 | 0.169
8/29/2024 | 1 | 74948 | 13971 | -11438 | 23501 | 5979 | -4895 | 0.317 | 425 | 16 | 0.038
8/29/2024 | 2 | 53486 | 10554 | -8533 | 16871 | 4517 | -3652 | 0.32 | 330 | 24 | 0.073
8/29/2024 | 4 | 56651 | 10079 | -8261 | 18393 | 4314 | -3536 | 0.328 | 68 | 4 | 0.059
8/29/2024 | 5 | 68688 | 12534 | -10420 | 22598 | 5365 | -4460 | 0.332 | 326 | 0 | 0
8/29/2024 | 6 | 71881 | 13417 | -10950 | 23550 | 5743 | -4687 | 0.331 | 0 | 0 | 0
8/29/2024 | 7 | 75870 | 16399 | -13896 | 23887 | 7019 | -5948 | 0.318 | 144 | 0 | 0
8/29/2024 | 8 | 78633 | 14437 | -12594 | 21581 | 6179 | -5390 | 0.278 | 392 | 21 | 0.054
8/29/2024 | 9 | 80409 | 13849 | -12082 | 19303 | 5927 | -5171 | 0.244 | 40 | 0 | 0
8/29/2024 | 10 | 81500 | 13886 | -11965 | 18717 | 5943 | -5121 | 0.234 | 0 | 0 | 0
8/29/2024 | 11 | 81929 | 13945 | -11819 | 18724 | 5968 | -5059 | 0.234 | 0 | 0 | 0
8/29/2024 | 12 | 84055 | 14074 | -11960 | 19403 | 6024 | -5119 | 0.236 | 0 | 0 | 0
8/29/2024 | 13 | 87973 | 14298 | -12407 | 19538 | 6120 | -5310 | 0.226 | 0 | 0 | 0
8/29/2024 | 14 | 91844 | 14770 | -12550 | 20402 | 6322 | -5371 | 0.227 | 0 | 0 | 0
8/29/2024 | 15 | 96642 | 15839 | -13676 | 21569 | 6779 | -5853 | 0.228 | 0 | 0 | 0
8/29/2024 | 16 | 101463 | 16053 | -13987 | 22896 | 6871 | -5986 | 0.23 | 0 | 0 | 0
8/29/2024 | 17 | 105771 | 17620 | -15602 | 24541 | 7541 | -6677 | 0.236 | 0 | 0 | 0
8/29/2024 | 18 | 108138 | 18755 | -16705 | 26796 | 8027 | -7150 | 0.251 | 18 | 0 | 0
8/29/2024 | 19 | 107300 | 18663 | -16451 | 29044 | 7988 | -7041 | 0.274 | 125 | 0 | 0
8/29/2024 | 20 | 103850 | 18765 | -16605 | 29568 | 8032 | -7107 | 0.288 | 289 | 0 | 0
8/29/2024 | 21 | 100253 | 18449 | -16278 | 28573 | 7896 | -6967 | 0.288 | 690 | 11 | 0.016
8/29/2024 | 22 | 94395 | 17721 | -15226 | 27810 | 7585 | -6517 | 0.298 | 630 | 28 | 0.044
8/29/2024 | 23 | 87503 | 14173 | -11962 | 27414 | 6066 | -5120 | 0.316 | 259 | 19 | 0.073
8/29/2024 | 24 | 80893 | 12371 | -10571 | 26601 | 5295 | -4524 | 0.331 | 383 | 52 | 0.136
8/30/2024 | 1 | 76211 | 11211 | -9439 | 25787 | 4798 | -4040 | 0.34 | 428 | 46 | 0.107
8/30/2024 | 2 | 72598 | 10306 | -8770 | 24718 | 4411 | -3754 | 0.342 | 424 | 46 | 0.108
8/30/2024 | 3 | 70155 | 10283 | -8872 | 24306 | 4401 | -3797 | 0.348 | 315 | 26 | 0.083
8/30/2024 | 4 | 68893 | 9949 | -8575 | 24471 | 4258 | -3670 | 0.357 | 238 | 0 | 0
8/30/2024 | 5 | 69034 | 10161 | -8667 | 24703 | 4349 | -3710 | 0.359 | 264 | 3 | 0.011
8/30/2024 | 6 | 71541 | 10885 | -9283 | 25661 | 4659 | -3973 | 0.36 | 386 | 34 | 0.088
8/30/2024 | 7 | 75052 | 14059 | -12274 | 25385 | 6017 | -5253 | 0.34 | 690 | 112 | 0.162
8/30/2024 | 8 | 78193 | 13338 | -11836 | 23184 | 5709 | -5066 | 0.299 | 452 | 61 | 0.135
8/30/2024 | 9 | 80665 | 13623 | -12423 | 20697 | 5831 | -5317 | 0.259 | 245 | 0 | 0
8/30/2024 | 10 | 83289 | 13024 | -12485 | 19971 | 5574 | -5344 | 0.241 | 538 | 0 | 0
8/30/2024 | 11 | 84566 | 13584 | -12629 | 20020 | 5814 | -5405 | 0.239 | 111 | 0 | 0
8/30/2024 | 12 | 86925 | 13791 | -12685 | 20486 | 5902 | -5429 | 0.238 | 0 | 0 | 0
8/30/2024 | 13 | 89604 | 13370 | -12388 | 20817 | 5722 | -5302 | 0.234 | 0 | 0 | 0
8/30/2024 | 14 | 93800 | 13968 | -12728 | 21537 | 5978 | -5447 | 0.232 | 0 | 0 | 0
8/30/2024 | 15 | 98842 | 15211 | -13917 | 22654 | 6511 | -5956 | 0.232 | 0 | 0 | 0
8/30/2024 | 16 | 104289 | 16102 | -14866 | 24591 | 6892 | -6363 | 0.238 | 0 | 0 | 0
8/30/2024 | 17 | 108083 | 18406 | -16918 | 26738 | 7878 | -7241 | 0.25 | 28 | 0 | 0
8/30/2024 | 18 | 110084 | 18980 | -17254 | 29043 | 8123 | -7385 | 0.266 | 13 | 0 | 0
8/30/2024 | 19 | 107476 | 19026 | -16961 | 30269 | 8143 | -7259 | 0.284 | 249 | 0 | 0
8/30/2024 | 20 | 102596 | 18619 | -16454 | 30077 | 7969 | -7042 | 0.296 | 835 | 16 | 0.019
8/30/2024 | 21 | 98296 | 18092 | -15726 | 28647 | 7743 | -6731 | 0.295 | 663 | 40 | 0.06
8/30/2024 | 22 | 93082 | 17626 | -15024 | 27856 | 7544 | -6430 | 0.303 | 805 | 105 | 0.13
8/30/2024 | 23 | 87206 | 13049 | -10532 | 27946 | 5585 | -4508 | 0.323 | 332 | 6 | 0.018
8/30/2024 | 24 | 81247 | 12076 | -9585 | 27115 | 5169 | -4103 | 0.337 | 584 | 41 | 0.07
8/31/2024 | 1 | 58077 | 8955 | -7406 | 20103 | 3833 | -3170 | 0.348 | 118 | 2 | 0.017
8/31/2024 | 2 | 72824 | 12136 | -10012 | 25666 | 5194 | -4285 | 0.355 | 299 | 31 | 0.104
8/31/2024 | 3 | 69983 | 11960 | -9885 | 24687 | 5119 | -4231 | 0.355 | 399 | 81 | 0.203
8/31/2024 | 4 | 68249 | 11577 | -9623 | 24032 | 4955 | -4119 | 0.354 | 370 | 28 | 0.076
8/31/2024 | 5 | 67542 | 11515 | -9607 | 23816 | 4928 | -4112 | 0.355 | 423 | 48 | 0.113
8/31/2024 | 6 | 67786 | 11753 | -10035 | 23728 | 5030 | -4295 | 0.352 | 373 | 29 | 0.078
8/31/2024 | 7 | 68220 | 14478 | -12576 | 22885 | 6197 | -5382 | 0.338 | 844 | 201 | 0.238
8/31/2024 | 8 | 69768 | 14487 | -12762 | 20641 | 6201 | -5462 | 0.299 | 384 | 36 | 0.094
8/31/2024 | 9 | 73111 | 13507 | -12007 | 18389 | 5781 | -5139 | 0.255 | 85 | 0 | 0
8/31/2024 | 10 | 75723 | 13930 | -12650 | 18514 | 5962 | -5414 | 0.248 | 0 | 0 | 0
8/31/2024 | 11 | 78200 | 13496 | -12202 | 18958 | 5776 | -5223 | 0.245 | 0 | 0 | 0
8/31/2024 | 12 | 81431 | 12931 | -11568 | 19750 | 5535 | -4951 | 0.246 | 0 | 0 | 0
8/31/2024 | 13 | 85472 | 13319 | -11782 | 20028 | 5700 | -5043 | 0.238 | 0 | 0 | 0
8/31/2024 | 14 | 90365 | 14067 | -12075 | 21057 | 6021 | -5168 | 0.237 | 0 | 0 | 0
8/31/2024 | 15 | 95869 | 15103 | -13157 | 22771 | 6464 | -5631 | 0.241 | 0 | 0 | 0
8/31/2024 | 16 | 102085 | 16068 | -14283 | 24488 | 6877 | -6113 | 0.243 | 0 | 0 | 0
8/31/2024 | 17 | 106472 | 18498 | -16833 | 26732 | 7917 | -7205 | 0.254 | 0 | 0 | 0
8/31/2024 | 18 | 109564 | 18674 | -17102 | 28812 | 7992 | -7319 | 0.265 | 16 | 0 | 0
8/31/2024 | 19 | 107708 | 19174 | -17252 | 29883 | 8206 | -7384 | 0.28 | 269 | 5 | 0.019
8/31/2024 | 20 | 102595 | 19498 | -17270 | 28725 | 8345 | -7391 | 0.283 | 814 | 157 | 0.193
8/31/2024 | 21 | 98168 | 18899 | -16337 | 28248 | 8089 | -6992 | 0.291 | 1378 | 337 | 0.245
8/31/2024 | 22 | 93036 | 18587 | -15778 | 27613 | 7955 | -6753 | 0.301 | 1450 | 384 | 0.265
8/31/2024 | 23 | 86766 | 13967 | -11216 | 27618 | 5978 | -4800 | 0.322 | 600 | 42 | 0.07
8/31/2024 | 24 | 80847 | 13596 | -10796 | 26698 | 5819 | -4620 | 0.334 | 893 | 130 | 0.146