## KEY
Average Emissions Rate Calculation
Background:
The CAISO is publishing this metric of an average emissions rate (AER) based on the discussion in the GHG working groups. CAISO discussed the metric at the November 27, 2023 GHG Coordination Working Group. A brief explanation of the methodology is included below:
Methodology:
1) Which resources are reflected in this example AER metric (all schedules are from the 5-minute market)
- All supply resources are included
- All demand response resources are excluded
- All energy storage resources are included (emissions rate used is 0 MTCO2e/MWh)
- Resources that were attributed to serve California are included
2) The AER measures all schedules ie. The total dispatach of the resources and not relative to WEIM base schedule
3) Bilateral transactions are included (emissions rate used is 0.428 MTCO2e/MWh) unless they are resource specific.
4) CAISO filled in missing heat rate and emissions rate data by using wtd averages from existing data
Key
TRADE_DT | Trade date of the reported data in MM/DD/YYYY format
TRADE_HR | Trade hour of the reported data. Data is reported as the "hour-ending", e.g. TRADE_HR = 2 is for the hour-ending 1:59:59AM Pacific time
GEN_MWH | MWh of electricity generation in the WEIM area* (including CAISO)
IMP_MWH | MWh of electricity imports into the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
EXP_MWH | MWh of electricity exports from the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
GEN_GHG | Greenhouse gas emissions in MTCO2e of electricity generation in the WEIM area
IMP_GHG | Greenhouse gas emissions in MTCO2e of electricity imports into the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
EXP_GHG | Greenhouse gas emissions in MTCO2e of electricity exports from the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
AVG_EM_RATE | Average emissions rate calculated as columns G through I divided by columns C through E
ATTR_MWH | MWh of WEIM transfers into California which, by definition, is equal to the sum of the GHG attributions
ATTR_GHG | Greenhouse gas emissions in MTCO2e of WEIM transfers into California (resource-specific)
ATTR_AVG_EM_RATE | Average emissions rate of WEIM transfers into California
CAISO PUBLIC

## AER_SUMMARY
TRADE_DT | TRADE_HR | GEN_MWH | IMP_MWH | EXP_MWH | GEN_GHG | IMP_GHG | EXP_GHG | AVG_EM_RATE | ATTR_MWH | ATTR_GHG | ATTR_AVG_EM_RATE
8/1/2025 | 1 | 81617 | 15424 | -12752 | 24758 | 6601 | -5458 | 0.307 | 990 | 30 | 0.03
8/1/2025 | 2 | 77291 | 14699 | -11948 | 23976 | 6291 | -5113 | 0.314 | 893 | 0 | 0
8/1/2025 | 3 | 74219 | 14223 | -11826 | 23513 | 6087 | -5061 | 0.32 | 810 | 1 | 0.001
8/1/2025 | 4 | 72146 | 13982 | -11459 | 23539 | 5984 | -4904 | 0.33 | 731 | 0 | 0
8/1/2025 | 5 | 71712 | 13765 | -11184 | 23252 | 5891 | -4786 | 0.328 | 639 | 1 | 0.002
8/1/2025 | 6 | 73252 | 13784 | -11107 | 23579 | 5900 | -4754 | 0.326 | 646 | 38 | 0.059
8/1/2025 | 7 | 76090 | 17063 | -14480 | 22665 | 7303 | -6197 | 0.302 | 1331 | 320 | 0.24
8/1/2025 | 8 | 80081 | 14604 | -12510 | 19703 | 6250 | -5354 | 0.251 | 196 | 7 | 0.036
8/1/2025 | 9 | 83850 | 14597 | -12805 | 18636 | 6248 | -5481 | 0.227 | 0 | 0 | 0
8/1/2025 | 10 | 86098 | 14421 | -12871 | 19042 | 6172 | -5509 | 0.225 | 0 | 0 | 0
8/1/2025 | 11 | 89188 | 14828 | -13605 | 19668 | 6346 | -5823 | 0.223 | 0 | 0 | 0
8/1/2025 | 12 | 92319 | 14386 | -13155 | 20223 | 6157 | -5630 | 0.222 | 0 | 0 | 0
8/1/2025 | 13 | 96763 | 14517 | -13412 | 20990 | 6213 | -5740 | 0.219 | 0 | 0 | 0
8/1/2025 | 14 | 101702 | 13875 | -13135 | 22067 | 5938 | -5622 | 0.218 | 0 | 0 | 0
8/1/2025 | 15 | 106424 | 14974 | -14587 | 22673 | 6409 | -6243 | 0.214 | 0 | 0 | 0
8/1/2025 | 16 | 110896 | 15584 | -15445 | 23651 | 6670 | -6610 | 0.214 | 0 | 0 | 0
8/1/2025 | 17 | 113943 | 16942 | -16667 | 23845 | 7251 | -7133 | 0.21 | 0 | 0 | 0
8/1/2025 | 18 | 115729 | 17332 | -17093 | 24793 | 7418 | -7316 | 0.215 | 100 | 0 | 0
8/1/2025 | 19 | 115007 | 18388 | -17976 | 25786 | 7870 | -7694 | 0.225 | 426 | 0 | 0
8/1/2025 | 20 | 111634 | 18162 | -17952 | 27261 | 7773 | -7684 | 0.245 | 251 | 0 | 0
8/1/2025 | 21 | 106594 | 18183 | -17468 | 27007 | 7782 | -7476 | 0.255 | 587 | 1 | 0.002
8/1/2025 | 22 | 100921 | 17859 | -16788 | 26569 | 7644 | -7185 | 0.265 | 940 | 54 | 0.057
8/1/2025 | 23 | 93438 | 13403 | -11647 | 26355 | 5736 | -4984 | 0.285 | 859 | 51 | 0.059
8/1/2025 | 24 | 86249 | 13462 | -11489 | 25590 | 5762 | -4917 | 0.3 | 878 | 58 | 0.066
8/2/2025 | 1 | 81814 | 14009 | -11877 | 24769 | 5996 | -5083 | 0.306 | 896 | 128 | 0.143
8/2/2025 | 2 | 77105 | 13705 | -11381 | 23784 | 5866 | -4871 | 0.312 | 432 | 7 | 0.016
8/2/2025 | 3 | 74225 | 13145 | -11351 | 23307 | 5626 | -4858 | 0.317 | 894 | 107 | 0.12
8/2/2025 | 4 | 71472 | 12593 | -10913 | 22680 | 5390 | -4671 | 0.32 | 656 | 77 | 0.117
8/2/2025 | 5 | 70419 | 12747 | -11031 | 22095 | 5456 | -4721 | 0.316 | 402 | 1 | 0.002
8/2/2025 | 6 | 70004 | 13211 | -11275 | 21738 | 5654 | -4825 | 0.314 | 559 | 68 | 0.122
8/2/2025 | 7 | 70360 | 16027 | -13896 | 21060 | 6860 | -5948 | 0.303 | 1155 | 275 | 0.238
8/2/2025 | 8 | 74047 | 14502 | -13150 | 16971 | 6207 | -5628 | 0.233 | 223 | 24 | 0.108
8/2/2025 | 9 | 78136 | 13953 | -13192 | 16303 | 5972 | -5646 | 0.211 | 0 | 0 | 0
8/2/2025 | 10 | 80572 | 12117 | -11703 | 16606 | 5186 | -5009 | 0.207 | 0 | 0 | 0
8/2/2025 | 11 | 82768 | 12367 | -11990 | 17133 | 5293 | -5132 | 0.208 | 0 | 0 | 0
8/2/2025 | 12 | 85882 | 12925 | -12287 | 17794 | 5532 | -5259 | 0.209 | 0 | 0 | 0
8/2/2025 | 13 | 89603 | 13099 | -12546 | 17634 | 5606 | -5370 | 0.198 | 0 | 0 | 0
8/2/2025 | 14 | 93769 | 13319 | -12736 | 18232 | 5701 | -5451 | 0.196 | 0 | 0 | 0
8/2/2025 | 15 | 98038 | 13970 | -13467 | 18722 | 5979 | -5764 | 0.192 | 0 | 0 | 0
8/2/2025 | 16 | 102834 | 14468 | -13992 | 19724 | 6192 | -5988 | 0.193 | 0 | 0 | 0
8/2/2025 | 17 | 107339 | 17293 | -16763 | 20440 | 7402 | -7174 | 0.192 | 0 | 0 | 0
8/2/2025 | 18 | 110742 | 18066 | -17576 | 22204 | 7732 | -7522 | 0.202 | 70 | 0 | 0
8/2/2025 | 19 | 110913 | 19454 | -18756 | 24572 | 8326 | -8028 | 0.223 | 364 | 0 | 0
8/2/2025 | 20 | 107634 | 19096 | -18615 | 25805 | 8173 | -7967 | 0.241 | 888 | 0 | 0
8/2/2025 | 21 | 103006 | 18592 | -18086 | 25342 | 7958 | -7741 | 0.247 | 873 | 20 | 0.023
8/2/2025 | 22 | 97868 | 18076 | -17354 | 24425 | 7737 | -7428 | 0.251 | 917 | 96 | 0.105
8/2/2025 | 23 | 90865 | 14135 | -12743 | 24134 | 6050 | -5454 | 0.268 | 478 | 46 | 0.096
8/2/2025 | 24 | 83987 | 14289 | -12492 | 23486 | 6116 | -5347 | 0.283 | 676 | 59 | 0.087
8/3/2025 | 1 | 78664 | 13750 | -11998 | 22681 | 5885 | -5135 | 0.291 | 751 | 96 | 0.128
8/3/2025 | 2 | 74198 | 13517 | -11947 | 21334 | 5785 | -5113 | 0.29 | 1114 | 197 | 0.177
8/3/2025 | 3 | 70741 | 13184 | -11686 | 20310 | 5643 | -5001 | 0.29 | 900 | 115 | 0.128
8/3/2025 | 4 | 68444 | 13201 | -11652 | 19558 | 5650 | -4987 | 0.289 | 550 | 0 | 0
8/3/2025 | 5 | 67451 | 13333 | -11776 | 19396 | 5706 | -5040 | 0.291 | 484 | 0 | 0
8/3/2025 | 6 | 66990 | 13269 | -11804 | 19237 | 5679 | -5052 | 0.29 | 425 | 1 | 0.002
8/3/2025 | 7 | 67134 | 12768 | -11717 | 18024 | 5464 | -5015 | 0.271 | 823 | 135 | 0.164
8/3/2025 | 8 | 70538 | 11040 | -10908 | 15174 | 4725 | -4668 | 0.216 | 147 | 19 | 0.129
8/3/2025 | 9 | 73228 | 10676 | -10709 | 14275 | 4569 | -4584 | 0.195 | 0 | 0 | 0
8/3/2025 | 10 | 75122 | 10531 | -10513 | 14206 | 4507 | -4500 | 0.189 | 0 | 0 | 0
8/3/2025 | 11 | 77815 | 10747 | -11013 | 14598 | 4600 | -4713 | 0.187 | 0 | 0 | 0
8/3/2025 | 12 | 81189 | 10896 | -11000 | 15465 | 4664 | -4708 | 0.19 | 0 | 0 | 0
8/3/2025 | 13 | 85381 | 11508 | -11686 | 16073 | 4926 | -5002 | 0.188 | 0 | 0 | 0
8/3/2025 | 14 | 90541 | 11641 | -12133 | 16943 | 4982 | -5193 | 0.186 | 0 | 0 | 0
8/3/2025 | 15 | 96012 | 12225 | -13117 | 17859 | 5232 | -5614 | 0.184 | 0 | 0 | 0
8/3/2025 | 16 | 101864 | 12153 | -13323 | 19440 | 5202 | -5702 | 0.188 | 0 | 0 | 0
8/3/2025 | 17 | 106599 | 13098 | -14085 | 20833 | 5606 | -6029 | 0.193 | 0 | 0 | 0
8/3/2025 | 18 | 110194 | 14479 | -14798 | 23046 | 6197 | -6333 | 0.209 | 6 | 0 | 0
8/3/2025 | 19 | 110534 | 16215 | -16109 | 25335 | 6940 | -6895 | 0.229 | 524 | 0 | 0
8/3/2025 | 20 | 107412 | 16558 | -16213 | 26056 | 7087 | -6939 | 0.243 | 588 | 20 | 0.034
8/3/2025 | 21 | 102127 | 16078 | -15449 | 25420 | 6881 | -6612 | 0.25 | 731 | 64 | 0.088
8/3/2025 | 22 | 96775 | 15872 | -14931 | 24637 | 6793 | -6390 | 0.256 | 913 | 111 | 0.122
8/3/2025 | 23 | 89332 | 14030 | -12426 | 24116 | 6005 | -5318 | 0.273 | 1107 | 158 | 0.143
8/3/2025 | 24 | 82350 | 13769 | -11951 | 22814 | 5893 | -5115 | 0.28 | 1248 | 238 | 0.191
8/4/2025 | 1 | 77751 | 13728 | -12021 | 21824 | 5875 | -5145 | 0.284 | 1184 | 281 | 0.237
8/4/2025 | 2 | 74213 | 13387 | -11841 | 20818 | 5730 | -5068 | 0.284 | 1390 | 326 | 0.235
8/4/2025 | 3 | 71253 | 13282 | -11737 | 20427 | 5685 | -5024 | 0.29 | 1619 | 405 | 0.25
8/4/2025 | 4 | 69381 | 13408 | -11712 | 19978 | 5739 | -5013 | 0.291 | 1540 | 348 | 0.226
8/4/2025 | 5 | 69667 | 13301 | -11608 | 19977 | 5693 | -4968 | 0.29 | 920 | 102 | 0.111
8/4/2025 | 6 | 71766 | 13496 | -11627 | 22120 | 5777 | -4976 | 0.311 | 675 | 23 | 0.034
8/4/2025 | 7 | 74427 | 15636 | -13655 | 20546 | 6692 | -5844 | 0.28 | 1027 | 194 | 0.189
8/4/2025 | 8 | 78799 | 13646 | -12318 | 18489 | 5840 | -5272 | 0.238 | 247 | 0 | 0
8/4/2025 | 9 | 81952 | 13348 | -12382 | 17812 | 5713 | -5300 | 0.22 | 0 | 0 | 0
8/4/2025 | 10 | 84129 | 13284 | -12627 | 17832 | 5686 | -5404 | 0.214 | 0 | 0 | 0
8/4/2025 | 11 | 87240 | 13566 | -13164 | 18576 | 5807 | -5634 | 0.214 | 0 | 0 | 0
8/4/2025 | 12 | 89561 | 13481 | -13035 | 18773 | 5770 | -5579 | 0.211 | 0 | 0 | 0
8/4/2025 | 13 | 93700 | 14056 | -13773 | 19890 | 6016 | -5895 | 0.213 | 0 | 0 | 0
8/4/2025 | 14 | 97805 | 14557 | -14628 | 20523 | 6230 | -6261 | 0.21 | 0 | 0 | 0
8/4/2025 | 15 | 102150 | 14983 | -15371 | 21732 | 6413 | -6579 | 0.212 | 0 | 0 | 0
8/4/2025 | 16 | 106709 | 15646 | -15986 | 22825 | 6697 | -6842 | 0.213 | 0 | 0 | 0
8/4/2025 | 17 | 110141 | 17366 | -17380 | 23908 | 7433 | -7439 | 0.217 | 35 | 0 | 0
8/4/2025 | 18 | 112841 | 18338 | -17865 | 25103 | 7849 | -7646 | 0.223 | 8 | 0 | 0
8/4/2025 | 19 | 113564 | 19417 | -19030 | 26599 | 8310 | -8145 | 0.235 | 565 | 13 | 0.023
8/4/2025 | 20 | 109700 | 19074 | -18531 | 26790 | 8163 | -7932 | 0.245 | 743 | 76 | 0.102
8/4/2025 | 21 | 105645 | 18776 | -17831 | 26057 | 8036 | -7632 | 0.248 | 713 | 45 | 0.063
8/4/2025 | 22 | 101047 | 17675 | -16978 | 25377 | 7565 | -7266 | 0.252 | 984 | 93 | 0.095
8/4/2025 | 23 | 93763 | 13534 | -12952 | 24521 | 5793 | -5544 | 0.263 | 737 | 30 | 0.041
8/4/2025 | 24 | 86360 | 13764 | -12846 | 23108 | 5891 | -5498 | 0.269 | 1040 | 155 | 0.149
8/5/2025 | 1 | 81313 | 13786 | -12968 | 22277 | 5900 | -5550 | 0.275 | 745 | 130 | 0.174
8/5/2025 | 2 | 76880 | 13936 | -13202 | 21372 | 5965 | -5651 | 0.279 | 597 | 86 | 0.144
8/5/2025 | 3 | 74234 | 12909 | -12389 | 21168 | 5525 | -5303 | 0.286 | 953 | 186 | 0.195
8/5/2025 | 4 | 72597 | 12653 | -12155 | 21410 | 5416 | -5202 | 0.296 | 1136 | 222 | 0.195
8/5/2025 | 5 | 72559 | 12483 | -11899 | 21805 | 5343 | -5093 | 0.302 | 734 | 124 | 0.169
8/5/2025 | 6 | 74685 | 13103 | -12122 | 22505 | 5608 | -5188 | 0.303 | 653 | 68 | 0.104
8/5/2025 | 7 | 77335 | 15104 | -13736 | 22288 | 6464 | -5879 | 0.291 | 2233 | 590 | 0.264
8/5/2025 | 8 | 80744 | 13174 | -12226 | 20162 | 5638 | -5233 | 0.252 | 911 | 134 | 0.147
8/5/2025 | 9 | 84292 | 13135 | -12948 | 19047 | 5622 | -5542 | 0.226 | 154 | 0 | 0
8/5/2025 | 10 | 86729 | 13318 | -13453 | 18600 | 5700 | -5758 | 0.214 | 95 | 0 | 0
8/5/2025 | 11 | 89817 | 13774 | -14157 | 19099 | 5895 | -6059 | 0.212 | 0 | 0 | 0
8/5/2025 | 12 | 93547 | 14115 | -14490 | 20198 | 6041 | -6202 | 0.215 | 0 | 0 | 0
8/5/2025 | 13 | 97898 | 14805 | -15143 | 21240 | 6336 | -6481 | 0.216 | 0 | 0 | 0
8/5/2025 | 14 | 102332 | 15123 | -15897 | 21918 | 6472 | -6804 | 0.213 | 0 | 0 | 0
8/5/2025 | 15 | 107247 | 15893 | -16938 | 22528 | 6802 | -7249 | 0.208 | 0 | 0 | 0
8/5/2025 | 16 | 112886 | 16353 | -17774 | 23765 | 6999 | -7607 | 0.208 | 0 | 0 | 0
8/5/2025 | 17 | 116250 | 18371 | -19383 | 24448 | 7863 | -8296 | 0.208 | 0 | 0 | 0
8/5/2025 | 18 | 118709 | 19953 | -20808 | 26267 | 8540 | -8906 | 0.22 | 237 | 0 | 0
8/5/2025 | 19 | 118420 | 20414 | -21407 | 27785 | 8737 | -9162 | 0.233 | 510 | 4 | 0.008
8/5/2025 | 20 | 114755 | 20320 | -21107 | 28829 | 8697 | -9034 | 0.25 | 670 | 4 | 0.006
8/5/2025 | 21 | 109738 | 19313 | -19381 | 28836 | 8266 | -8295 | 0.263 | 486 | 12 | 0.025
8/5/2025 | 22 | 104393 | 18684 | -18682 | 28408 | 7997 | -7996 | 0.272 | 486 | 11 | 0.023
8/5/2025 | 23 | 96213 | 14494 | -13764 | 27984 | 6203 | -5891 | 0.292 | 497 | 10 | 0.02
8/5/2025 | 24 | 88994 | 14312 | -13493 | 27228 | 6126 | -5775 | 0.307 | 608 | 67 | 0.11
8/6/2025 | 1 | 82598 | 14035 | -12545 | 25313 | 6007 | -5369 | 0.309 | 754 | 115 | 0.153
8/6/2025 | 2 | 78431 | 13318 | -11832 | 23911 | 5700 | -5064 | 0.307 | 517 | 33 | 0.064
8/6/2025 | 3 | 75639 | 13038 | -11704 | 23289 | 5580 | -5009 | 0.31 | 494 | 30 | 0.061
8/6/2025 | 4 | 73704 | 13009 | -11616 | 22892 | 5568 | -4972 | 0.313 | 449 | 2 | 0.004
8/6/2025 | 5 | 73743 | 13394 | -11973 | 22290 | 5732 | -5124 | 0.305 | 420 | 2 | 0.005
8/6/2025 | 6 | 76277 | 13832 | -12646 | 22689 | 5920 | -5412 | 0.299 | 453 | 2 | 0.004
8/6/2025 | 7 | 79762 | 15697 | -14708 | 21812 | 6718 | -6295 | 0.275 | 647 | 114 | 0.176
8/6/2025 | 8 | 83064 | 14748 | -14051 | 19471 | 6312 | -6014 | 0.236 | 175 | 8 | 0.046
8/6/2025 | 9 | 87039 | 14657 | -14331 | 19531 | 6273 | -6134 | 0.225 | 0 | 0 | 0
8/6/2025 | 10 | 89701 | 14779 | -14429 | 20055 | 6325 | -6176 | 0.224 | 0 | 0 | 0
8/6/2025 | 11 | 93448 | 15166 | -14869 | 21674 | 6491 | -6364 | 0.233 | 0 | 0 | 0
8/6/2025 | 12 | 97446 | 15643 | -15462 | 22727 | 6696 | -6618 | 0.234 | 79 | 1 | 0.013
8/6/2025 | 13 | 102423 | 16239 | -16272 | 23904 | 6950 | -6964 | 0.233 | 25 | 0 | 0
8/6/2025 | 14 | 107449 | 17041 | -17340 | 24862 | 7294 | -7422 | 0.231 | 9 | 0 | 0
8/6/2025 | 15 | 113258 | 18174 | -19231 | 25578 | 7779 | -8231 | 0.224 | 215 | 1 | 0.005
8/6/2025 | 16 | 118716 | 19020 | -20448 | 27127 | 8141 | -8752 | 0.226 | 424 | 1 | 0.002
8/6/2025 | 17 | 121089 | 21265 | -22221 | 28119 | 9101 | -9511 | 0.231 | 329 | 3 | 0.009
8/6/2025 | 18 | 123257 | 21653 | -22458 | 29479 | 9267 | -9612 | 0.238 | 841 | 122 | 0.145
8/6/2025 | 19 | 122394 | 21076 | -21631 | 30135 | 9021 | -9258 | 0.245 | 124 | 0 | 0
8/6/2025 | 20 | 118480 | 21082 | -21498 | 30758 | 9023 | -9201 | 0.259 | 642 | 20 | 0.031
8/6/2025 | 21 | 113187 | 20278 | -19802 | 30352 | 8679 | -8476 | 0.269 | 426 | 1 | 0.002
8/6/2025 | 22 | 107464 | 20042 | -19310 | 29920 | 8578 | -8265 | 0.279 | 1419 | 203 | 0.143
8/6/2025 | 23 | 99665 | 13803 | -12777 | 28904 | 5907 | -5469 | 0.291 | 1094 | 164 | 0.15
8/6/2025 | 24 | 91931 | 13291 | -12172 | 27726 | 5689 | -5209 | 0.303 | 1795 | 464 | 0.258
8/7/2025 | 1 | 86823 | 13392 | -12417 | 26413 | 5732 | -5314 | 0.306 | 820 | 102 | 0.124
8/7/2025 | 2 | 82144 | 13224 | -12281 | 25128 | 5660 | -5256 | 0.307 | 1374 | 236 | 0.172
8/7/2025 | 3 | 77822 | 13051 | -11991 | 23500 | 5586 | -5132 | 0.304 | 689 | 80 | 0.116
8/7/2025 | 4 | 75684 | 13451 | -12344 | 23110 | 5757 | -5283 | 0.307 | 674 | 134 | 0.199
8/7/2025 | 5 | 75659 | 13694 | -12533 | 22505 | 5861 | -5365 | 0.299 | 789 | 207 | 0.262
8/7/2025 | 6 | 78057 | 13690 | -12667 | 22594 | 5860 | -5422 | 0.291 | 738 | 133 | 0.18
8/7/2025 | 7 | 80965 | 16074 | -15284 | 22269 | 6880 | -6541 | 0.277 | 1893 | 522 | 0.276
8/7/2025 | 8 | 84428 | 15916 | -15523 | 20462 | 6812 | -6644 | 0.243 | 610 | 107 | 0.175
8/7/2025 | 9 | 88621 | 15809 | -15893 | 19688 | 6766 | -6802 | 0.222 | 236 | 5 | 0.021
8/7/2025 | 10 | 92394 | 15855 | -16372 | 19609 | 6786 | -7007 | 0.211 | 212 | 0 | 0
8/7/2025 | 11 | 95683 | 16241 | -16926 | 19512 | 6951 | -7244 | 0.202 | 311 | 34 | 0.109
8/7/2025 | 12 | 100973 | 16368 | -17395 | 20712 | 7005 | -7445 | 0.203 | 372 | 70 | 0.188
8/7/2025 | 13 | 106904 | 17917 | -19122 | 22128 | 7668 | -8184 | 0.204 | 484 | 101 | 0.209
8/7/2025 | 14 | 111820 | 18985 | -20277 | 23392 | 8126 | -8679 | 0.207 | 772 | 218 | 0.282
8/7/2025 | 15 | 116623 | 20809 | -22370 | 24868 | 8906 | -9575 | 0.21 | 1080 | 292 | 0.27
8/7/2025 | 16 | 120657 | 21888 | -23601 | 26326 | 9368 | -10101 | 0.215 | 1041 | 241 | 0.232
8/7/2025 | 17 | 123101 | 22622 | -23982 | 27110 | 9682 | -10264 | 0.218 | 1876 | 760 | 0.405
8/7/2025 | 18 | 124891 | 23156 | -24251 | 28677 | 9911 | -10380 | 0.228 | 1465 | 429 | 0.293
8/7/2025 | 19 | 124301 | 23568 | -24652 | 29794 | 10087 | -10551 | 0.238 | 1186 | 211 | 0.178
8/7/2025 | 20 | 120658 | 23311 | -24121 | 30986 | 9977 | -10324 | 0.256 | 1504 | 412 | 0.274
8/7/2025 | 21 | 115541 | 22341 | -22860 | 30769 | 9562 | -9784 | 0.266 | 1649 | 450 | 0.273
8/7/2025 | 22 | 108937 | 21160 | -21238 | 29438 | 9057 | -9090 | 0.27 | 2495 | 809 | 0.324
8/7/2025 | 23 | 100431 | 15932 | -14846 | 28280 | 6819 | -6354 | 0.283 | 1802 | 461 | 0.256
8/7/2025 | 24 | 92406 | 15299 | -14051 | 26980 | 6548 | -6014 | 0.294 | 1667 | 439 | 0.263
8/8/2025 | 1 | 86042 | 15328 | -14009 | 25553 | 6560 | -5996 | 0.299 | 1375 | 168 | 0.122
8/8/2025 | 2 | 81003 | 15146 | -13527 | 24164 | 6482 | -5790 | 0.301 | 938 | 92 | 0.098
8/8/2025 | 3 | 77253 | 15076 | -13441 | 22657 | 6452 | -5753 | 0.296 | 968 | 104 | 0.107
8/8/2025 | 4 | 75146 | 14711 | -13242 | 22116 | 6296 | -5668 | 0.297 | 844 | 60 | 0.071
8/8/2025 | 5 | 75050 | 14853 | -13085 | 22075 | 6357 | -5600 | 0.297 | 957 | 146 | 0.153
8/8/2025 | 6 | 76686 | 15011 | -13140 | 22587 | 6425 | -5624 | 0.298 | 796 | 75 | 0.094
8/8/2025 | 7 | 80084 | 16156 | -14701 | 23536 | 6915 | -6292 | 0.296 | 1259 | 236 | 0.187
8/8/2025 | 8 | 83750 | 14345 | -12994 | 20041 | 6140 | -5562 | 0.242 | 853 | 153 | 0.179
8/8/2025 | 9 | 87788 | 14275 | -13638 | 19385 | 6110 | -5837 | 0.222 | 157 | 3 | 0.019
8/8/2025 | 10 | 90984 | 14100 | -13862 | 19631 | 6035 | -5933 | 0.216 | 119 | 0 | 0
8/8/2025 | 11 | 94756 | 14298 | -14258 | 20480 | 6120 | -6102 | 0.216 | 336 | 0 | 0
8/8/2025 | 12 | 98448 | 14943 | -14746 | 21145 | 6396 | -6311 | 0.215 | 351 | 1 | 0.003
8/8/2025 | 13 | 102633 | 15716 | -15136 | 21367 | 6726 | -6478 | 0.209 | 322 | 22 | 0.068
8/8/2025 | 14 | 107451 | 16112 | -15560 | 22231 | 6896 | -6660 | 0.208 | 39 | 0 | 0
8/8/2025 | 15 | 112288 | 16492 | -16187 | 23301 | 7058 | -6928 | 0.208 | 0 | 0 | 0
8/8/2025 | 16 | 116973 | 17855 | -17421 | 24451 | 7642 | -7456 | 0.21 | 19 | 0 | 0
8/8/2025 | 17 | 119741 | 20425 | -19545 | 25138 | 8742 | -8365 | 0.212 | 308 | 1 | 0.003
8/8/2025 | 18 | 121822 | 21265 | -20269 | 26626 | 9101 | -8675 | 0.22 | 553 | 5 | 0.009
8/8/2025 | 19 | 120400 | 21830 | -20626 | 28720 | 9343 | -8828 | 0.24 | 593 | 1 | 0.002
8/8/2025 | 20 | 116233 | 22163 | -20746 | 29763 | 9486 | -8879 | 0.258 | 859 | 15 | 0.017
8/8/2025 | 21 | 111301 | 21668 | -20051 | 29279 | 9274 | -8582 | 0.265 | 867 | 82 | 0.095
8/8/2025 | 22 | 105497 | 20933 | -18963 | 28479 | 8959 | -8116 | 0.273 | 1338 | 206 | 0.154
8/8/2025 | 23 | 98608 | 16683 | -14404 | 27878 | 7140 | -6165 | 0.286 | 832 | 64 | 0.077
8/8/2025 | 24 | 91687 | 15300 | -13047 | 26833 | 6548 | -5584 | 0.296 | 782 | 59 | 0.075
8/9/2025 | 1 | 86208 | 15485 | -13096 | 25834 | 6627 | -5605 | 0.303 | 367 | 22 | 0.06
8/9/2025 | 2 | 80778 | 15702 | -13029 | 24898 | 6720 | -5576 | 0.312 | 386 | 1 | 0.003
8/9/2025 | 3 | 77084 | 15560 | -13097 | 24005 | 6659 | -5605 | 0.315 | 128 | 0 | 0
8/9/2025 | 4 | 74527 | 15591 | -13178 | 23281 | 6673 | -5640 | 0.316 | 204 | 1 | 0.005
8/9/2025 | 5 | 73226 | 15111 | -12787 | 22940 | 6468 | -5473 | 0.317 | 122 | 1 | 0.008
8/9/2025 | 6 | 72841 | 15356 | -12993 | 22780 | 6572 | -5561 | 0.316 | 334 | 1 | 0.003
8/9/2025 | 7 | 73856 | 16021 | -14165 | 23130 | 6857 | -6063 | 0.316 | 490 | 28 | 0.057
8/9/2025 | 8 | 76290 | 13863 | -12447 | 19018 | 5933 | -5327 | 0.253 | 349 | 21 | 0.06
8/9/2025 | 9 | 80218 | 12983 | -12057 | 18162 | 5557 | -5161 | 0.229 | 0 | 0 | 0
8/9/2025 | 10 | 83434 | 13292 | -12330 | 18501 | 5689 | -5277 | 0.224 | 26 | 0 | 0
8/9/2025 | 11 | 86982 | 13205 | -12482 | 19278 | 5652 | -5342 | 0.223 | 307 | 1 | 0.003
8/9/2025 | 12 | 91007 | 12841 | -12242 | 20155 | 5496 | -5240 | 0.223 | 37 | 0 | 0
8/9/2025 | 13 | 95397 | 13648 | -12890 | 20721 | 5841 | -5517 | 0.219 | 0 | 0 | 0
8/9/2025 | 14 | 99748 | 13709 | -13171 | 20857 | 5868 | -5637 | 0.21 | 0 | 0 | 0
8/9/2025 | 15 | 104916 | 14466 | -14024 | 21728 | 6192 | -6002 | 0.208 | 0 | 0 | 0
8/9/2025 | 16 | 109934 | 15482 | -15099 | 23286 | 6626 | -6463 | 0.213 | 0 | 0 | 0
8/9/2025 | 17 | 113588 | 17666 | -17136 | 24538 | 7561 | -7334 | 0.217 | 15 | 0 | 0
8/9/2025 | 18 | 116666 | 18596 | -18183 | 26280 | 7959 | -7782 | 0.226 | 340 | 1 | 0.003
8/9/2025 | 19 | 117169 | 18880 | -18310 | 28489 | 8081 | -7837 | 0.244 | 57 | 0 | 0
8/9/2025 | 20 | 112755 | 18524 | -17801 | 29530 | 7928 | -7619 | 0.263 | 114 | 0 | 0
8/9/2025 | 21 | 108724 | 18299 | -17518 | 29157 | 7832 | -7498 | 0.269 | 300 | 2 | 0.007
8/9/2025 | 22 | 103265 | 17211 | -16060 | 28518 | 7366 | -6874 | 0.278 | 73 | 0 | 0
8/9/2025 | 23 | 96685 | 13976 | -12727 | 28010 | 5982 | -5447 | 0.291 | 37 | 0 | 0
8/9/2025 | 24 | 90087 | 13502 | -12120 | 28282 | 5779 | -5188 | 0.316 | 349 | 5 | 0.014
8/10/2025 | 1 | 85056 | 12659 | -11114 | 26390 | 5418 | -4757 | 0.312 | 614 | 1 | 0.002
8/10/2025 | 2 | 80002 | 12563 | -10703 | 25461 | 5377 | -4581 | 0.321 | 654 | 1 | 0.002
8/10/2025 | 3 | 76675 | 12646 | -11011 | 24701 | 5412 | -4713 | 0.324 | 631 | 33 | 0.052
8/10/2025 | 4 | 74353 | 12946 | -11288 | 24071 | 5541 | -4831 | 0.326 | 580 | 54 | 0.093
8/10/2025 | 5 | 72633 | 12829 | -11430 | 23319 | 5491 | -4892 | 0.323 | 518 | 25 | 0.048
8/10/2025 | 6 | 71862 | 12665 | -11249 | 22938 | 5421 | -4815 | 0.321 | 623 | 45 | 0.072
8/10/2025 | 7 | 71484 | 13444 | -12045 | 22333 | 5754 | -5155 | 0.315 | 1428 | 326 | 0.228
8/10/2025 | 8 | 73438 | 11745 | -10579 | 19618 | 5027 | -4528 | 0.27 | 815 | 133 | 0.163
8/10/2025 | 9 | 77228 | 11520 | -10460 | 18269 | 4930 | -4477 | 0.239 | 77 | 0 | 0
8/10/2025 | 10 | 80823 | 11452 | -10466 | 18491 | 4901 | -4479 | 0.231 | 30 | 0 | 0
8/10/2025 | 11 | 83964 | 12116 | -10940 | 18663 | 5185 | -4682 | 0.225 | 0 | 0 | 0
8/10/2025 | 12 | 88406 | 12076 | -10807 | 19458 | 5169 | -4625 | 0.223 | 0 | 0 | 0
8/10/2025 | 13 | 93610 | 12398 | -11100 | 20728 | 5306 | -4751 | 0.224 | 0 | 0 | 0
8/10/2025 | 14 | 99774 | 12497 | -11470 | 21315 | 5349 | -4909 | 0.216 | 0 | 0 | 0
8/10/2025 | 15 | 106388 | 13362 | -12716 | 22897 | 5719 | -5443 | 0.217 | 0 | 0 | 0
8/10/2025 | 16 | 112653 | 14368 | -13911 | 24560 | 6149 | -5954 | 0.219 | 9 | 0 | 0
8/10/2025 | 17 | 116705 | 15187 | -14614 | 25877 | 6500 | -6255 | 0.223 | 145 | 0 | 0
8/10/2025 | 18 | 120424 | 16354 | -16162 | 27790 | 7000 | -6917 | 0.231 | 489 | 18 | 0.037
8/10/2025 | 19 | 121440 | 16808 | -16831 | 29363 | 7194 | -7204 | 0.242 | 417 | 1 | 0.002
8/10/2025 | 20 | 117825 | 16821 | -16574 | 30232 | 7199 | -7094 | 0.257 | 476 | 8 | 0.017
8/10/2025 | 21 | 112925 | 16294 | -15674 | 29232 | 6974 | -6708 | 0.26 | 442 | 1 | 0.002
8/10/2025 | 22 | 107299 | 14836 | -14138 | 28905 | 6350 | -6051 | 0.27 | 510 | 26 | 0.051
8/10/2025 | 23 | 99368 | 11848 | -11277 | 28817 | 5071 | -4826 | 0.291 | 270 | 25 | 0.093
8/10/2025 | 24 | 91788 | 11684 | -10830 | 27934 | 5001 | -4635 | 0.305 | 436 | 26 | 0.06
8/11/2025 | 1 | 85407 | 11864 | -10714 | 26515 | 5077 | -4586 | 0.312 | 359 | 16 | 0.045
8/11/2025 | 2 | 80678 | 11998 | -10650 | 26680 | 5135 | -4558 | 0.332 | 424 | 1 | 0.002
8/11/2025 | 3 | 77260 | 12274 | -10789 | 24724 | 5253 | -4618 | 0.322 | 585 | 2 | 0.003
8/11/2025 | 4 | 75573 | 12274 | -10862 | 24364 | 5253 | -4649 | 0.324 | 302 | 0 | 0
8/11/2025 | 5 | 75281 | 12359 | -10622 | 24318 | 5290 | -4546 | 0.325 | 170 | 1 | 0.006
8/11/2025 | 6 | 78194 | 12170 | -10780 | 24940 | 5209 | -4614 | 0.321 | 21 | 0 | 0
8/11/2025 | 7 | 81175 | 14928 | -13701 | 24082 | 6389 | -5864 | 0.299 | 425 | 16 | 0.038
8/11/2025 | 8 | 84960 | 14333 | -13038 | 21456 | 6135 | -5580 | 0.255 | 788 | 175 | 0.222
8/11/2025 | 9 | 89657 | 12962 | -12533 | 21653 | 5548 | -5364 | 0.242 | 131 | 2 | 0.015
8/11/2025 | 10 | 92909 | 13087 | -12609 | 22034 | 5601 | -5396 | 0.238 | 86 | 1 | 0.012
8/11/2025 | 11 | 96774 | 14200 | -13667 | 22338 | 6078 | -5849 | 0.232 | 130 | 0 | 0
8/11/2025 | 12 | 101581 | 14168 | -13856 | 22871 | 6064 | -5930 | 0.226 | 162 | 2 | 0.012
8/11/2025 | 13 | 107331 | 14420 | -14147 | 23777 | 6172 | -6055 | 0.222 | 89 | 0 | 0
8/11/2025 | 14 | 113380 | 15271 | -15328 | 24865 | 6536 | -6560 | 0.219 | 2 | 0 | 0
8/11/2025 | 15 | 118805 | 16434 | -16651 | 25478 | 7034 | -7127 | 0.214 | 75 | 0 | 0
8/11/2025 | 16 | 124654 | 17661 | -18692 | 26586 | 7559 | -8000 | 0.211 | 5 | 0 | 0
8/11/2025 | 17 | 127403 | 19708 | -20560 | 27396 | 8435 | -8800 | 0.214 | 148 | 1 | 0.007
8/11/2025 | 18 | 130392 | 21070 | -22484 | 28609 | 9018 | -9623 | 0.217 | 258 | 0 | 0
8/11/2025 | 19 | 129704 | 20458 | -21794 | 30528 | 8756 | -9328 | 0.233 | 0 | 0 | 0
8/11/2025 | 20 | 125312 | 20751 | -21909 | 31508 | 8882 | -9377 | 0.25 | 256 | 5 | 0.02
8/11/2025 | 21 | 119936 | 20016 | -20914 | 30837 | 8567 | -8951 | 0.256 | 545 | 18 | 0.033
8/11/2025 | 22 | 113240 | 18942 | -19522 | 30451 | 8107 | -8356 | 0.268 | 726 | 87 | 0.12
8/11/2025 | 23 | 103700 | 12666 | -12341 | 30026 | 5421 | -5282 | 0.29 | 210 | 2 | 0.01
8/11/2025 | 24 | 95222 | 12263 | -11824 | 29228 | 5248 | -5060 | 0.308 | 278 | 1 | 0.004
8/12/2025 | 1 | 88702 | 10496 | -9838 | 28263 | 4493 | -4211 | 0.319 | 82 | 0 | 0
8/12/2025 | 2 | 83997 | 10446 | -9676 | 27010 | 4471 | -4142 | 0.323 | 513 | 4 | 0.008
8/12/2025 | 3 | 79949 | 10255 | -9134 | 26222 | 4389 | -3909 | 0.329 | 547 | 1 | 0.002
8/12/2025 | 4 | 77705 | 10255 | -9185 | 25895 | 4389 | -3931 | 0.335 | 576 | 24 | 0.042
8/12/2025 | 5 | 77093 | 10536 | -9148 | 25820 | 4509 | -3916 | 0.337 | 472 | 65 | 0.138
8/12/2025 | 6 | 79218 | 10899 | -9442 | 26338 | 4665 | -4042 | 0.334 | 570 | 4 | 0.007
8/12/2025 | 7 | 82499 | 14795 | -13482 | 25818 | 6332 | -5770 | 0.315 | 1613 | 475 | 0.294
8/12/2025 | 8 | 86146 | 14646 | -13519 | 23446 | 6268 | -5786 | 0.274 | 1397 | 433 | 0.31
8/12/2025 | 9 | 90326 | 15071 | -14288 | 22377 | 6450 | -6115 | 0.249 | 382 | 119 | 0.312
8/12/2025 | 10 | 93750 | 15121 | -14560 | 22372 | 6472 | -6232 | 0.24 | 105 | 18 | 0.171
8/12/2025 | 11 | 97057 | 14963 | -14533 | 23025 | 6404 | -6220 | 0.238 | 76 | 1 | 0.013
8/12/2025 | 12 | 101505 | 15264 | -14940 | 23910 | 6532 | -6395 | 0.236 | 32 | 0 | 0
8/12/2025 | 13 | 106669 | 15796 | -15743 | 24722 | 6760 | -6738 | 0.232 | 0 | 0 | 0
8/12/2025 | 14 | 113073 | 16449 | -16994 | 25711 | 7040 | -7273 | 0.226 | 0 | 0 | 0
8/12/2025 | 15 | 118939 | 18049 | -19088 | 26470 | 7725 | -8170 | 0.221 | 7 | 0 | 0
8/12/2025 | 16 | 124484 | 18915 | -20407 | 27342 | 8095 | -8734 | 0.217 | 65 | 0 | 0
8/12/2025 | 17 | 127348 | 20581 | -21843 | 28041 | 8809 | -9349 | 0.218 | 4 | 0 | 0
8/12/2025 | 18 | 129494 | 21493 | -22846 | 29325 | 9199 | -9778 | 0.224 | 0 | 0 | 0
8/12/2025 | 19 | 128880 | 21482 | -22768 | 30646 | 9194 | -9745 | 0.236 | 0 | 0 | 0
8/12/2025 | 20 | 123749 | 20969 | -21741 | 30982 | 8975 | -9305 | 0.249 | 467 | 30 | 0.064
8/12/2025 | 21 | 118430 | 19474 | -20115 | 30114 | 8335 | -8609 | 0.253 | 712 | 94 | 0.132
8/12/2025 | 22 | 111231 | 19478 | -19090 | 29638 | 8336 | -8171 | 0.267 | 754 | 45 | 0.06
8/12/2025 | 23 | 102332 | 13130 | -12555 | 28925 | 5620 | -5374 | 0.283 | 612 | 37 | 0.06
8/12/2025 | 24 | 94766 | 12856 | -11986 | 28139 | 5502 | -5130 | 0.298 | 652 | 50 | 0.077
8/13/2025 | 1 | 89085 | 12830 | -12383 | 26350 | 5491 | -5300 | 0.296 | 404 | 6 | 0.015
8/13/2025 | 2 | 83806 | 13193 | -12126 | 25052 | 5647 | -5190 | 0.301 | 373 | 0 | 0
8/13/2025 | 3 | 80217 | 13025 | -11800 | 24379 | 5575 | -5050 | 0.306 | 356 | 1 | 0.003
8/13/2025 | 4 | 77802 | 13305 | -12145 | 23738 | 5694 | -5198 | 0.307 | 347 | 1 | 0.003
8/13/2025 | 5 | 77166 | 13649 | -12207 | 23527 | 5842 | -5225 | 0.307 | 318 | 0 | 0
8/13/2025 | 6 | 79419 | 14036 | -12602 | 24131 | 6007 | -5394 | 0.306 | 356 | 36 | 0.101
8/13/2025 | 7 | 83096 | 14646 | -13444 | 25107 | 6268 | -5754 | 0.304 | 973 | 217 | 0.223
8/13/2025 | 8 | 86310 | 13496 | -12791 | 21446 | 5776 | -5475 | 0.25 | 439 | 72 | 0.164
8/13/2025 | 9 | 89547 | 13533 | -13305 | 19657 | 5792 | -5694 | 0.22 | 6 | 0 | 0
8/13/2025 | 10 | 92817 | 13632 | -13852 | 19579 | 5834 | -5929 | 0.21 | 0 | 0 | 0
8/13/2025 | 11 | 95617 | 13530 | -13913 | 19330 | 5791 | -5955 | 0.201 | 0 | 0 | 0
8/13/2025 | 12 | 99292 | 13709 | -13987 | 19931 | 5867 | -5986 | 0.2 | 0 | 0 | 0
8/13/2025 | 13 | 104125 | 14637 | -15131 | 21021 | 6265 | -6476 | 0.201 | 0 | 0 | 0
8/13/2025 | 14 | 108492 | 15825 | -16832 | 21832 | 6773 | -7204 | 0.199 | 0 | 0 | 0
8/13/2025 | 15 | 113683 | 17111 | -18358 | 22296 | 7324 | -7857 | 0.194 | 0 | 0 | 0
8/13/2025 | 16 | 118575 | 17469 | -18840 | 23515 | 7477 | -8063 | 0.196 | 0 | 0 | 0
8/13/2025 | 17 | 121279 | 19381 | -19902 | 24691 | 8295 | -8518 | 0.203 | 0 | 0 | 0
8/13/2025 | 18 | 123514 | 20795 | -21110 | 26720 | 8900 | -9035 | 0.216 | 0 | 0 | 0
8/13/2025 | 19 | 121976 | 20988 | -21292 | 28321 | 8983 | -9113 | 0.232 | 0 | 0 | 0
8/13/2025 | 20 | 116724 | 20729 | -20861 | 28586 | 8872 | -8928 | 0.245 | 370 | 3 | 0.008
8/13/2025 | 21 | 112203 | 20138 | -19811 | 28327 | 8619 | -8479 | 0.253 | 646 | 1 | 0.002
8/13/2025 | 22 | 106213 | 18931 | -18507 | 27911 | 8102 | -7921 | 0.263 | 755 | 10 | 0.013
8/13/2025 | 23 | 97832 | 14877 | -14162 | 27213 | 6368 | -6062 | 0.279 | 568 | 1 | 0.002
8/13/2025 | 24 | 90551 | 14000 | -13187 | 26169 | 5992 | -5644 | 0.29 | 415 | 1 | 0.002
8/14/2025 | 1 | 85615 | 13834 | -13134 | 25219 | 5921 | -5621 | 0.296 | 393 | 34 | 0.087
8/14/2025 | 2 | 81714 | 13400 | -12695 | 24134 | 5735 | -5433 | 0.296 | 305 | 3 | 0.01
8/14/2025 | 3 | 78480 | 13378 | -12721 | 23171 | 5726 | -5445 | 0.296 | 551 | 25 | 0.045
8/14/2025 | 4 | 76435 | 13321 | -12536 | 22360 | 5702 | -5365 | 0.294 | 692 | 120 | 0.173
8/14/2025 | 5 | 76705 | 13533 | -12802 | 22127 | 5792 | -5479 | 0.29 | 684 | 100 | 0.146
8/14/2025 | 6 | 79240 | 13246 | -13002 | 22348 | 5669 | -5565 | 0.282 | 643 | 73 | 0.114
8/14/2025 | 7 | 83220 | 14303 | -14310 | 23883 | 6122 | -6125 | 0.287 | 1063 | 254 | 0.239
8/14/2025 | 8 | 86392 | 12906 | -13239 | 20904 | 5524 | -5666 | 0.241 | 317 | 43 | 0.136
8/14/2025 | 9 | 89702 | 12988 | -13590 | 19960 | 5559 | -5817 | 0.221 | 0 | 0 | 0
8/14/2025 | 10 | 92172 | 13239 | -13999 | 20053 | 5666 | -5992 | 0.216 | 0 | 0 | 0
8/14/2025 | 11 | 93946 | 13248 | -14209 | 20369 | 5670 | -6081 | 0.215 | 0 | 0 | 0
8/14/2025 | 12 | 95275 | 13934 | -14740 | 20413 | 5964 | -6309 | 0.212 | 0 | 0 | 0
8/14/2025 | 13 | 98335 | 14344 | -15420 | 20293 | 6139 | -6600 | 0.204 | 0 | 0 | 0
8/14/2025 | 14 | 103320 | 14814 | -16432 | 20944 | 6341 | -7033 | 0.199 | 0 | 0 | 0
8/14/2025 | 15 | 107992 | 15433 | -17253 | 21721 | 6605 | -7385 | 0.197 | 0 | 0 | 0
8/14/2025 | 16 | 112480 | 15913 | -17822 | 22691 | 6811 | -7627 | 0.198 | 0 | 0 | 0
8/14/2025 | 17 | 115999 | 17115 | -19058 | 23036 | 7325 | -8157 | 0.195 | 0 | 0 | 0
8/14/2025 | 18 | 118140 | 18028 | -19859 | 24909 | 7716 | -8500 | 0.207 | 85 | 0 | 0
8/14/2025 | 19 | 116633 | 18539 | -20306 | 26089 | 7935 | -8691 | 0.221 | 574 | 58 | 0.101
8/14/2025 | 20 | 112915 | 18442 | -19889 | 26345 | 7893 | -8513 | 0.231 | 830 | 111 | 0.134
8/14/2025 | 21 | 109418 | 18307 | -19304 | 26248 | 7835 | -8262 | 0.238 | 772 | 21 | 0.027
8/14/2025 | 22 | 103425 | 17460 | -17759 | 25708 | 7473 | -7601 | 0.248 | 548 | 27 | 0.049
8/14/2025 | 23 | 95192 | 13966 | -13504 | 25398 | 5978 | -5780 | 0.268 | 442 | 7 | 0.016
8/14/2025 | 24 | 88598 | 13620 | -13364 | 24784 | 5829 | -5720 | 0.28 | 380 | 0 | 0
8/15/2025 | 1 | 83193 | 13453 | -13004 | 23603 | 5758 | -5566 | 0.284 | 498 | 2 | 0.004
8/15/2025 | 2 | 79092 | 13047 | -12444 | 22667 | 5584 | -5326 | 0.288 | 613 | 2 | 0.003
8/15/2025 | 3 | 76080 | 12797 | -12037 | 22377 | 5477 | -5152 | 0.295 | 671 | 0 | 0
8/15/2025 | 4 | 74156 | 12196 | -11481 | 21968 | 5220 | -4914 | 0.297 | 765 | 33 | 0.043
8/15/2025 | 5 | 74164 | 12099 | -11144 | 22302 | 5178 | -4770 | 0.302 | 739 | 68 | 0.092
8/15/2025 | 6 | 76552 | 12746 | -11921 | 22851 | 5455 | -5102 | 0.3 | 601 | 9 | 0.015
8/15/2025 | 7 | 80387 | 13234 | -12728 | 23203 | 5664 | -5447 | 0.29 | 830 | 90 | 0.108
8/15/2025 | 8 | 83415 | 11994 | -11836 | 21558 | 5134 | -5066 | 0.259 | 286 | 29 | 0.101
8/15/2025 | 9 | 86070 | 11390 | -11418 | 20072 | 4875 | -4887 | 0.233 | 0 | 0 | 0
8/15/2025 | 10 | 88285 | 11601 | -11661 | 19998 | 4965 | -4991 | 0.226 | 0 | 0 | 0
8/15/2025 | 11 | 90023 | 11904 | -12117 | 19579 | 5095 | -5186 | 0.217 | 0 | 0 | 0
8/15/2025 | 12 | 91744 | 11966 | -12082 | 19849 | 5121 | -5171 | 0.216 | 0 | 0 | 0
8/15/2025 | 13 | 94452 | 12786 | -12983 | 19818 | 5472 | -5556 | 0.209 | 0 | 0 | 0
8/15/2025 | 14 | 97777 | 13187 | -13560 | 20064 | 5644 | -5804 | 0.204 | 0 | 0 | 0
8/15/2025 | 15 | 101838 | 13855 | -14394 | 21086 | 5930 | -6161 | 0.206 | 0 | 0 | 0
8/15/2025 | 16 | 105654 | 14254 | -15221 | 21122 | 6101 | -6514 | 0.198 | 0 | 0 | 0
8/15/2025 | 17 | 108439 | 15662 | -16352 | 22238 | 6703 | -6998 | 0.204 | 0 | 0 | 0
8/15/2025 | 18 | 109227 | 16696 | -16745 | 23829 | 7146 | -7166 | 0.218 | 46 | 0 | 0
8/15/2025 | 19 | 107315 | 17026 | -16874 | 25089 | 7287 | -7222 | 0.234 | 267 | 3 | 0.011
8/15/2025 | 20 | 104227 | 17016 | -16449 | 25085 | 7283 | -7040 | 0.242 | 627 | 32 | 0.051
8/15/2025 | 21 | 101584 | 16662 | -16097 | 25348 | 7132 | -6889 | 0.251 | 682 | 16 | 0.023
8/15/2025 | 22 | 96697 | 15941 | -14887 | 24789 | 6823 | -6372 | 0.258 | 760 | 17 | 0.022
8/15/2025 | 23 | 90592 | 13384 | -11935 | 24432 | 5728 | -5108 | 0.272 | 492 | 17 | 0.035
8/15/2025 | 24 | 85335 | 13120 | -11783 | 24128 | 5615 | -5043 | 0.285 | 628 | 32 | 0.051
8/16/2025 | 1 | 80892 | 12939 | -11898 | 23962 | 5538 | -5092 | 0.298 | 680 | 55 | 0.081
8/16/2025 | 2 | 77031 | 12769 | -11465 | 23635 | 5465 | -4907 | 0.309 | 1143 | 222 | 0.194
8/16/2025 | 3 | 73773 | 12766 | -11263 | 22245 | 5464 | -4820 | 0.304 | 1343 | 296 | 0.22
8/16/2025 | 4 | 71754 | 12714 | -11207 | 21509 | 5442 | -4797 | 0.302 | 1379 | 361 | 0.262
8/16/2025 | 5 | 70941 | 12655 | -11107 | 21074 | 5416 | -4754 | 0.3 | 1254 | 342 | 0.273
8/16/2025 | 6 | 71254 | 13044 | -11394 | 20746 | 5583 | -4876 | 0.294 | 1102 | 279 | 0.253
8/16/2025 | 7 | 72109 | 14240 | -12703 | 20277 | 6095 | -5437 | 0.284 | 1783 | 499 | 0.28
8/16/2025 | 8 | 74876 | 13282 | -12251 | 17541 | 5685 | -5243 | 0.237 | 276 | 69 | 0.25
8/16/2025 | 9 | 78645 | 12797 | -11988 | 15533 | 5477 | -5131 | 0.2 | 0 | 0 | 0
8/16/2025 | 10 | 81634 | 12182 | -11609 | 15702 | 5214 | -4969 | 0.194 | 0 | 0 | 0
8/16/2025 | 11 | 83306 | 11801 | -11414 | 15779 | 5051 | -4885 | 0.191 | 0 | 0 | 0
8/16/2025 | 12 | 84870 | 11918 | -11440 | 16003 | 5101 | -4896 | 0.19 | 0 | 0 | 0
8/16/2025 | 13 | 87462 | 12378 | -12332 | 16394 | 5298 | -5278 | 0.188 | 0 | 0 | 0
8/16/2025 | 14 | 89728 | 12787 | -12741 | 16880 | 5472 | -5453 | 0.188 | 0 | 0 | 0
8/16/2025 | 15 | 93291 | 13238 | -13176 | 17259 | 5666 | -5639 | 0.185 | 0 | 0 | 0
8/16/2025 | 16 | 97682 | 13414 | -13633 | 17959 | 5741 | -5835 | 0.183 | 0 | 0 | 0
8/16/2025 | 17 | 100477 | 15084 | -14963 | 18112 | 6456 | -6404 | 0.181 | 0 | 0 | 0
8/16/2025 | 18 | 102329 | 15936 | -15361 | 19693 | 6821 | -6574 | 0.194 | 49 | 0 | 0
8/16/2025 | 19 | 102367 | 17258 | -16487 | 22030 | 7386 | -7056 | 0.217 | 543 | 36 | 0.066
8/16/2025 | 20 | 99856 | 17613 | -16786 | 22806 | 7538 | -7184 | 0.23 | 1253 | 110 | 0.088
8/16/2025 | 21 | 97551 | 16779 | -16052 | 22894 | 7182 | -6870 | 0.236 | 738 | 13 | 0.018
8/16/2025 | 22 | 92832 | 16798 | -15524 | 22348 | 7189 | -6645 | 0.243 | 1236 | 172 | 0.139
8/16/2025 | 23 | 87430 | 14781 | -13406 | 22458 | 6326 | -5738 | 0.26 | 725 | 38 | 0.052
8/16/2025 | 24 | 81769 | 13904 | -12420 | 21691 | 5951 | -5316 | 0.268 | 898 | 79 | 0.088
8/17/2025 | 1 | 77533 | 13861 | -12599 | 21408 | 5932 | -5392 | 0.279 | 1398 | 284 | 0.203
8/17/2025 | 2 | 73701 | 14216 | -12744 | 20712 | 6084 | -5455 | 0.284 | 1379 | 312 | 0.226
8/17/2025 | 3 | 70611 | 14417 | -12792 | 20136 | 6170 | -5475 | 0.288 | 1904 | 509 | 0.267
8/17/2025 | 4 | 68908 | 14245 | -12695 | 19788 | 6097 | -5434 | 0.29 | 1963 | 533 | 0.272
8/17/2025 | 5 | 68071 | 14506 | -13071 | 19620 | 6209 | -5595 | 0.291 | 1474 | 324 | 0.22
8/17/2025 | 6 | 67872 | 14329 | -12889 | 19867 | 6133 | -5517 | 0.296 | 1275 | 245 | 0.192
8/17/2025 | 7 | 68358 | 14352 | -13201 | 19671 | 6143 | -5650 | 0.29 | 2176 | 564 | 0.259
8/17/2025 | 8 | 70131 | 12123 | -11497 | 16785 | 5189 | -4921 | 0.241 | 346 | 64 | 0.185
8/17/2025 | 9 | 73877 | 10733 | -10560 | 14711 | 4594 | -4520 | 0.2 | 0 | 0 | 0
8/17/2025 | 10 | 76028 | 10393 | -10287 | 14477 | 4448 | -4403 | 0.191 | 0 | 0 | 0
8/17/2025 | 11 | 78016 | 10317 | -10287 | 15072 | 4416 | -4403 | 0.193 | 0 | 0 | 0
8/17/2025 | 12 | 80660 | 10135 | -10065 | 15906 | 4338 | -4308 | 0.197 | 0 | 0 | 0
8/17/2025 | 13 | 83658 | 10602 | -10683 | 16447 | 4538 | -4572 | 0.196 | 0 | 0 | 0
8/17/2025 | 14 | 87708 | 11226 | -11617 | 17401 | 4804 | -4972 | 0.197 | 0 | 0 | 0
8/17/2025 | 15 | 92557 | 11636 | -12364 | 18285 | 4980 | -5292 | 0.196 | 0 | 0 | 0
8/17/2025 | 16 | 97817 | 12132 | -13320 | 19091 | 5192 | -5701 | 0.192 | 0 | 0 | 0
8/17/2025 | 17 | 101504 | 13103 | -14176 | 20324 | 5608 | -6067 | 0.198 | 0 | 0 | 0
8/17/2025 | 18 | 105400 | 14382 | -15710 | 23007 | 6155 | -6724 | 0.216 | 176 | 6 | 0.034
8/17/2025 | 19 | 106251 | 15447 | -16984 | 25289 | 6611 | -7269 | 0.235 | 928 | 58 | 0.062
8/17/2025 | 20 | 103492 | 15825 | -17174 | 26087 | 6773 | -7350 | 0.25 | 1583 | 319 | 0.202
8/17/2025 | 21 | 99658 | 15202 | -15884 | 25879 | 6507 | -6799 | 0.259 | 1778 | 250 | 0.141
8/17/2025 | 22 | 94180 | 14703 | -14270 | 25394 | 6293 | -6108 | 0.27 | 1714 | 309 | 0.18
8/17/2025 | 23 | 86768 | 13332 | -12432 | 24991 | 5706 | -5321 | 0.289 | 1560 | 297 | 0.19
8/17/2025 | 24 | 80392 | 12917 | -11987 | 24700 | 5529 | -5131 | 0.309 | 1758 | 426 | 0.242
8/18/2025 | 1 | 76219 | 12988 | -12150 | 24317 | 5559 | -5200 | 0.32 | 1481 | 411 | 0.278
8/18/2025 | 2 | 72862 | 13134 | -12102 | 23631 | 5622 | -5180 | 0.326 | 1296 | 268 | 0.207
8/18/2025 | 3 | 70372 | 12835 | -11947 | 22720 | 5494 | -5113 | 0.324 | 1261 | 295 | 0.234
8/18/2025 | 4 | 68752 | 12149 | -11145 | 22210 | 5200 | -4770 | 0.325 | 1141 | 241 | 0.211
8/18/2025 | 5 | 69552 | 12122 | -11293 | 22621 | 5188 | -4834 | 0.326 | 879 | 168 | 0.191
8/18/2025 | 6 | 72589 | 11951 | -11398 | 23338 | 5116 | -4879 | 0.322 | 601 | 94 | 0.156
8/18/2025 | 7 | 76958 | 13070 | -12791 | 23388 | 5594 | -5475 | 0.304 | 1901 | 589 | 0.31
8/18/2025 | 8 | 80512 | 12186 | -12326 | 20477 | 5216 | -5276 | 0.254 | 635 | 146 | 0.23
8/18/2025 | 9 | 83054 | 11745 | -11989 | 18706 | 5027 | -5132 | 0.225 | 38 | 3 | 0.079
8/18/2025 | 10 | 84740 | 11461 | -11822 | 18864 | 4905 | -5060 | 0.222 | 0 | 0 | 0
8/18/2025 | 11 | 87435 | 11656 | -12360 | 19589 | 4989 | -5290 | 0.222 | 0 | 0 | 0
8/18/2025 | 12 | 90858 | 12068 | -12719 | 20243 | 5165 | -5444 | 0.221 | 0 | 0 | 0
8/18/2025 | 13 | 94942 | 13085 | -13833 | 20873 | 5600 | -5920 | 0.218 | 0 | 0 | 0
8/18/2025 | 14 | 98959 | 13590 | -14354 | 21223 | 5816 | -6144 | 0.213 | 0 | 0 | 0
8/18/2025 | 15 | 103295 | 14259 | -15024 | 21831 | 6103 | -6430 | 0.21 | 0 | 0 | 0
8/18/2025 | 16 | 107957 | 14668 | -15633 | 22874 | 6278 | -6691 | 0.21 | 0 | 0 | 0
8/18/2025 | 17 | 111564 | 16165 | -17190 | 24137 | 6919 | -7358 | 0.214 | 0 | 0 | 0
8/18/2025 | 18 | 114287 | 17436 | -18483 | 26134 | 7463 | -7911 | 0.227 | 0 | 0 | 0
8/18/2025 | 19 | 113717 | 17994 | -18733 | 28041 | 7701 | -8018 | 0.245 | 652 | 14 | 0.021
8/18/2025 | 20 | 110566 | 18350 | -19136 | 28160 | 7854 | -8190 | 0.253 | 1446 | 266 | 0.184
8/18/2025 | 21 | 106660 | 17900 | -18585 | 27676 | 7661 | -7954 | 0.258 | 1566 | 353 | 0.225
8/18/2025 | 22 | 99644 | 17332 | -16993 | 27180 | 7418 | -7273 | 0.273 | 1794 | 485 | 0.27
8/18/2025 | 23 | 91255 | 14009 | -12913 | 26891 | 5996 | -5527 | 0.296 | 1887 | 535 | 0.284
8/18/2025 | 24 | 84513 | 13844 | -12983 | 25210 | 5925 | -5557 | 0.3 | 2179 | 580 | 0.266
8/19/2025 | 1 | 79685 | 12986 | -12015 | 24556 | 5558 | -5143 | 0.31 | 597 | 52 | 0.087
8/19/2025 | 2 | 75439 | 13351 | -12029 | 23544 | 5714 | -5148 | 0.314 | 762 | 116 | 0.152
8/19/2025 | 3 | 72287 | 13101 | -11678 | 22828 | 5607 | -4998 | 0.318 | 1167 | 225 | 0.193
8/19/2025 | 4 | 70426 | 12800 | -11071 | 22750 | 5478 | -4738 | 0.326 | 1566 | 390 | 0.249
8/19/2025 | 5 | 71063 | 12553 | -10935 | 22758 | 5373 | -4680 | 0.323 | 977 | 171 | 0.175
8/19/2025 | 6 | 73832 | 12799 | -11116 | 23110 | 5478 | -4758 | 0.316 | 851 | 103 | 0.121
8/19/2025 | 7 | 78278 | 14154 | -12988 | 23701 | 6058 | -5559 | 0.305 | 2734 | 815 | 0.298
8/19/2025 | 8 | 81217 | 13172 | -12435 | 21557 | 5638 | -5322 | 0.267 | 2016 | 620 | 0.308
8/19/2025 | 9 | 84252 | 12250 | -12110 | 20336 | 5243 | -5183 | 0.242 | 291 | 59 | 0.203
8/19/2025 | 10 | 87026 | 12265 | -12266 | 21220 | 5249 | -5250 | 0.244 | 39 | 0 | 0
8/19/2025 | 11 | 89439 | 12274 | -12423 | 21816 | 5253 | -5317 | 0.244 | 4 | 0 | 0
8/19/2025 | 12 | 92777 | 13104 | -13484 | 21976 | 5608 | -5771 | 0.236 | 0 | 0 | 0
8/19/2025 | 13 | 97427 | 13774 | -14319 | 22427 | 5895 | -6129 | 0.229 | 0 | 0 | 0
8/19/2025 | 14 | 102880 | 14832 | -15552 | 23283 | 6348 | -6656 | 0.225 | 0 | 0 | 0
8/19/2025 | 15 | 108391 | 15754 | -16606 | 24417 | 6743 | -7108 | 0.224 | 0 | 0 | 0
8/19/2025 | 16 | 113328 | 16066 | -17364 | 25653 | 6876 | -7432 | 0.224 | 0 | 0 | 0
8/19/2025 | 17 | 116585 | 17135 | -18378 | 26141 | 7334 | -7865 | 0.222 | 0 | 0 | 0
8/19/2025 | 18 | 119536 | 18327 | -19683 | 27792 | 7844 | -8424 | 0.23 | 400 | 0 | 0
8/19/2025 | 19 | 119258 | 18925 | -19924 | 29152 | 8100 | -8527 | 0.243 | 544 | 1 | 0.002
8/19/2025 | 20 | 115453 | 18794 | -19600 | 29552 | 8044 | -8389 | 0.255 | 891 | 46 | 0.052
8/19/2025 | 21 | 110542 | 18356 | -18663 | 29066 | 7856 | -7988 | 0.262 | 1033 | 104 | 0.101
8/19/2025 | 22 | 104922 | 17198 | -17031 | 27992 | 7361 | -7289 | 0.267 | 1375 | 224 | 0.163
8/19/2025 | 23 | 96945 | 13848 | -13242 | 27185 | 5927 | -5668 | 0.281 | 1021 | 162 | 0.159
8/19/2025 | 24 | 89342 | 13766 | -12808 | 26270 | 5892 | -5482 | 0.295 | 990 | 270 | 0.273
8/20/2025 | 1 | 83359 | 13625 | -12132 | 25251 | 5832 | -5192 | 0.305 | 416 | 66 | 0.159
8/20/2025 | 2 | 78979 | 13794 | -12178 | 24111 | 5904 | -5212 | 0.308 | 317 | 28 | 0.088
8/20/2025 | 3 | 75393 | 13485 | -11833 | 23102 | 5772 | -5064 | 0.309 | 531 | 76 | 0.143
8/20/2025 | 4 | 73485 | 13187 | -11521 | 22906 | 5644 | -4931 | 0.314 | 575 | 85 | 0.148
8/20/2025 | 5 | 73195 | 13572 | -11562 | 22597 | 5809 | -4948 | 0.312 | 414 | 5 | 0.012
8/20/2025 | 6 | 75801 | 13764 | -11688 | 23580 | 5891 | -5002 | 0.314 | 438 | 7 | 0.016
8/20/2025 | 7 | 80008 | 14253 | -12673 | 24144 | 6100 | -5424 | 0.304 | 1404 | 329 | 0.234
8/20/2025 | 8 | 83122 | 13057 | -11826 | 22838 | 5588 | -5062 | 0.277 | 551 | 69 | 0.125
8/20/2025 | 9 | 86223 | 13076 | -12141 | 21579 | 5596 | -5196 | 0.252 | 0 | 0 | 0
8/20/2025 | 10 | 89378 | 13118 | -12601 | 21403 | 5615 | -5394 | 0.241 | 0 | 0 | 0
8/20/2025 | 11 | 93565 | 13630 | -13316 | 22230 | 5834 | -5699 | 0.238 | 0 | 0 | 0
8/20/2025 | 12 | 97914 | 14302 | -14075 | 23334 | 6121 | -6024 | 0.239 | 0 | 0 | 0
8/20/2025 | 13 | 103272 | 15245 | -15182 | 24471 | 6525 | -6498 | 0.237 | 0 | 0 | 0
8/20/2025 | 14 | 108820 | 16067 | -16373 | 25321 | 6877 | -7007 | 0.232 | 0 | 0 | 0
8/20/2025 | 15 | 114953 | 17963 | -18578 | 26770 | 7688 | -7952 | 0.232 | 0 | 0 | 0
8/20/2025 | 16 | 121109 | 18806 | -19966 | 28559 | 8049 | -8546 | 0.234 | 0 | 0 | 0
8/20/2025 | 17 | 124469 | 19944 | -20939 | 29867 | 8536 | -8962 | 0.238 | 0 | 0 | 0
8/20/2025 | 18 | 125606 | 22203 | -22724 | 30552 | 9503 | -9726 | 0.242 | 188 | 0 | 0
8/20/2025 | 19 | 124871 | 22644 | -23023 | 31498 | 9691 | -9854 | 0.252 | 812 | 19 | 0.023
8/20/2025 | 20 | 120842 | 21991 | -22401 | 31729 | 9412 | -9588 | 0.262 | 942 | 87 | 0.092
8/20/2025 | 21 | 115818 | 21451 | -21182 | 31126 | 9181 | -9066 | 0.269 | 1038 | 167 | 0.161
8/20/2025 | 22 | 109288 | 19504 | -18713 | 30843 | 8348 | -8009 | 0.283 | 860 | 144 | 0.167
8/20/2025 | 23 | 100789 | 14591 | -13500 | 30380 | 6245 | -5778 | 0.303 | 726 | 149 | 0.205
8/20/2025 | 24 | 92726 | 14357 | -12866 | 29998 | 6145 | -5507 | 0.325 | 992 | 232 | 0.234
8/21/2025 | 1 | 86448 | 12810 | -11164 | 28510 | 5482 | -4778 | 0.332 | 133 | 1 | 0.008
8/21/2025 | 2 | 81797 | 13336 | -11516 | 27525 | 5708 | -4929 | 0.338 | 0 | 0 | 0
8/21/2025 | 3 | 78328 | 12146 | -10226 | 26801 | 5198 | -4377 | 0.344 | 88 | 0 | 0
8/21/2025 | 4 | 76569 | 12104 | -9892 | 26512 | 5180 | -4234 | 0.349 | 305 | 1 | 0.003
8/21/2025 | 5 | 76592 | 11844 | -10043 | 26667 | 5069 | -4298 | 0.35 | 297 | 0 | 0
8/21/2025 | 6 | 79279 | 12150 | -10461 | 27253 | 5200 | -4477 | 0.346 | 256 | 1 | 0.004
8/21/2025 | 7 | 83331 | 14816 | -13550 | 27479 | 6341 | -5799 | 0.331 | 882 | 199 | 0.226
8/21/2025 | 8 | 86495 | 13834 | -12680 | 26149 | 5921 | -5427 | 0.304 | 563 | 88 | 0.156
8/21/2025 | 9 | 90143 | 13829 | -12678 | 24940 | 5919 | -5426 | 0.279 | 126 | 7 | 0.056
8/21/2025 | 10 | 93629 | 14344 | -13280 | 24948 | 6139 | -5684 | 0.268 | 227 | 12 | 0.053
8/21/2025 | 11 | 97503 | 14968 | -14273 | 25221 | 6406 | -6109 | 0.26 | 291 | 21 | 0.072
8/21/2025 | 12 | 102627 | 15572 | -15106 | 25865 | 6665 | -6465 | 0.253 | 103 | 0 | 0
8/21/2025 | 13 | 109718 | 17340 | -17878 | 27577 | 7422 | -7652 | 0.25 | 231 | 4 | 0.017
8/21/2025 | 14 | 116065 | 18421 | -19077 | 29062 | 7884 | -8165 | 0.249 | 64 | 0 | 0
8/21/2025 | 15 | 121810 | 19366 | -19920 | 30958 | 8289 | -8526 | 0.253 | 435 | 1 | 0.002
8/21/2025 | 16 | 126336 | 20873 | -21564 | 32537 | 8934 | -9229 | 0.257 | 653 | 111 | 0.17
8/21/2025 | 17 | 129244 | 21819 | -22196 | 33119 | 9339 | -9500 | 0.256 | 469 | 52 | 0.111
8/21/2025 | 18 | 130428 | 22667 | -22940 | 34598 | 9702 | -9818 | 0.265 | 768 | 93 | 0.121
8/21/2025 | 19 | 128767 | 22071 | -21860 | 35347 | 9446 | -9356 | 0.275 | 1116 | 115 | 0.103
8/21/2025 | 20 | 123352 | 22510 | -21903 | 35920 | 9634 | -9374 | 0.292 | 1407 | 291 | 0.207
8/21/2025 | 21 | 118100 | 21988 | -21157 | 35292 | 9411 | -9055 | 0.3 | 1451 | 175 | 0.121
8/21/2025 | 22 | 111445 | 19754 | -18598 | 34374 | 8454 | -7960 | 0.31 | 1927 | 462 | 0.24
8/21/2025 | 23 | 101828 | 14690 | -12796 | 32524 | 6287 | -5477 | 0.321 | 577 | 76 | 0.132
8/21/2025 | 24 | 93253 | 13389 | -11320 | 30884 | 5731 | -4845 | 0.333 | 737 | 70 | 0.095
8/22/2025 | 1 | 87300 | 12967 | -10741 | 29808 | 5550 | -4597 | 0.344 | 338 | 5 | 0.015
8/22/2025 | 2 | 82557 | 12188 | -9800 | 28912 | 5216 | -4194 | 0.352 | 310 | 2 | 0.006
8/22/2025 | 3 | 79184 | 11847 | -9492 | 28362 | 5070 | -4063 | 0.36 | 353 | 2 | 0.006
8/22/2025 | 4 | 77174 | 11799 | -9317 | 27944 | 5050 | -3988 | 0.364 | 90 | 0 | 0
8/22/2025 | 5 | 76773 | 11804 | -9366 | 27774 | 5052 | -4008 | 0.364 | 0 | 0 | 0
8/22/2025 | 6 | 78556 | 12593 | -9874 | 27915 | 5390 | -4226 | 0.358 | 56 | 1 | 0.018
8/22/2025 | 7 | 82174 | 16726 | -14355 | 27645 | 7159 | -6144 | 0.339 | 836 | 177 | 0.212
8/22/2025 | 8 | 86010 | 16246 | -14605 | 26862 | 6953 | -6251 | 0.314 | 674 | 162 | 0.24
8/22/2025 | 9 | 90551 | 15995 | -15036 | 26112 | 6846 | -6435 | 0.29 | 256 | 53 | 0.207
8/22/2025 | 10 | 93613 | 16175 | -15070 | 25862 | 6923 | -6450 | 0.278 | 265 | 15 | 0.057
8/22/2025 | 11 | 97752 | 16356 | -15274 | 26083 | 7000 | -6538 | 0.269 | 161 | 23 | 0.143
8/22/2025 | 12 | 103040 | 16778 | -16030 | 26640 | 7181 | -6861 | 0.26 | 25 | 0 | 0
8/22/2025 | 13 | 109011 | 17023 | -16428 | 27603 | 7286 | -7031 | 0.254 | 0 | 0 | 0
8/22/2025 | 14 | 115662 | 17602 | -17069 | 28979 | 7534 | -7306 | 0.251 | 41 | 0 | 0
8/22/2025 | 15 | 121236 | 18199 | -17861 | 29956 | 7789 | -7645 | 0.248 | 0 | 0 | 0
8/22/2025 | 16 | 126299 | 19160 | -19075 | 31097 | 8201 | -8164 | 0.246 | 667 | 9 | 0.013
8/22/2025 | 17 | 128711 | 20741 | -20400 | 31903 | 8877 | -8731 | 0.248 | 920 | 132 | 0.143
8/22/2025 | 18 | 129711 | 21250 | -20944 | 33217 | 9095 | -8964 | 0.256 | 1040 | 170 | 0.163
8/22/2025 | 19 | 127582 | 21840 | -21520 | 34160 | 9348 | -9211 | 0.268 | 959 | 112 | 0.117
8/22/2025 | 20 | 122364 | 22291 | -21736 | 34400 | 9541 | -9303 | 0.282 | 1399 | 284 | 0.203
8/22/2025 | 21 | 117671 | 21782 | -21260 | 33406 | 9323 | -9099 | 0.285 | 1136 | 198 | 0.174
8/22/2025 | 22 | 111967 | 19725 | -18993 | 32939 | 8442 | -8129 | 0.295 | 1564 | 530 | 0.339
8/22/2025 | 23 | 104542 | 13827 | -12822 | 32504 | 5918 | -5488 | 0.312 | 584 | 117 | 0.2
8/22/2025 | 24 | 97156 | 12160 | -11134 | 31770 | 5205 | -4765 | 0.328 | 377 | 22 | 0.058
8/23/2025 | 1 | 90009 | 12320 | -10778 | 30269 | 5273 | -4613 | 0.338 | 676 | 73 | 0.108
8/23/2025 | 2 | 84849 | 11968 | -10337 | 29223 | 5122 | -4424 | 0.346 | 846 | 118 | 0.139
8/23/2025 | 3 | 80749 | 12077 | -10305 | 28155 | 5169 | -4410 | 0.35 | 554 | 88 | 0.159
8/23/2025 | 4 | 77786 | 12247 | -10453 | 27594 | 5242 | -4474 | 0.356 | 621 | 169 | 0.272
8/23/2025 | 5 | 76408 | 12111 | -10363 | 27290 | 5183 | -4435 | 0.359 | 663 | 189 | 0.285
8/23/2025 | 6 | 76150 | 12608 | -10805 | 27311 | 5396 | -4624 | 0.36 | 762 | 239 | 0.314
8/23/2025 | 7 | 77166 | 14782 | -13253 | 26938 | 6327 | -5672 | 0.351 | 1784 | 739 | 0.414
8/23/2025 | 8 | 80126 | 14772 | -13802 | 26066 | 6322 | -5907 | 0.327 | 1578 | 523 | 0.331
8/23/2025 | 9 | 83968 | 15852 | -15048 | 25194 | 6784 | -6441 | 0.301 | 1108 | 371 | 0.335
8/23/2025 | 10 | 88937 | 16096 | -15336 | 25823 | 6889 | -6564 | 0.292 | 599 | 165 | 0.275
8/23/2025 | 11 | 93296 | 16698 | -15860 | 26598 | 7147 | -6788 | 0.286 | 230 | 44 | 0.191
8/23/2025 | 12 | 98084 | 16590 | -15759 | 26876 | 7101 | -6745 | 0.275 | 146 | 22 | 0.151
8/23/2025 | 13 | 102618 | 17551 | -16891 | 27807 | 7512 | -7229 | 0.272 | 104 | 4 | 0.038
8/23/2025 | 14 | 107266 | 18613 | -17634 | 28645 | 7966 | -7547 | 0.269 | 565 | 73 | 0.129
8/23/2025 | 15 | 113465 | 19413 | -18625 | 29798 | 8309 | -7972 | 0.264 | 1102 | 284 | 0.258
8/23/2025 | 16 | 118564 | 19889 | -19490 | 31003 | 8513 | -8342 | 0.262 | 651 | 100 | 0.154
8/23/2025 | 17 | 121171 | 21022 | -20504 | 31872 | 8998 | -8776 | 0.264 | 507 | 14 | 0.028
8/23/2025 | 18 | 122285 | 20849 | -20087 | 32474 | 8923 | -8597 | 0.267 | 361 | 1 | 0.003
8/23/2025 | 19 | 120187 | 21054 | -20088 | 33004 | 9011 | -8598 | 0.276 | 435 | 2 | 0.005
8/23/2025 | 20 | 115447 | 21378 | -20271 | 32873 | 9150 | -8676 | 0.286 | 1380 | 408 | 0.296
8/23/2025 | 21 | 111590 | 20987 | -19503 | 32583 | 8983 | -8347 | 0.294 | 2087 | 771 | 0.369
8/23/2025 | 22 | 106215 | 19587 | -17835 | 32169 | 8384 | -7634 | 0.305 | 2253 | 789 | 0.35
8/23/2025 | 23 | 99484 | 13579 | -11486 | 32073 | 5812 | -4916 | 0.325 | 606 | 92 | 0.152
8/23/2025 | 24 | 92340 | 12972 | -10848 | 30852 | 5552 | -4643 | 0.336 | 887 | 236 | 0.266
8/24/2025 | 1 | 87126 | 13937 | -11843 | 29787 | 5965 | -5069 | 0.344 | 745 | 217 | 0.291
8/24/2025 | 2 | 82141 | 13518 | -11317 | 28959 | 5786 | -4844 | 0.355 | 465 | 58 | 0.125
8/24/2025 | 3 | 78381 | 12991 | -10582 | 28276 | 5560 | -4530 | 0.363 | 560 | 127 | 0.227
8/24/2025 | 4 | 75563 | 12790 | -10463 | 27509 | 5474 | -4478 | 0.366 | 586 | 133 | 0.227
8/24/2025 | 5 | 73683 | 12850 | -10289 | 27134 | 5500 | -4404 | 0.37 | 178 | 3 | 0.017
8/24/2025 | 6 | 73580 | 13049 | -10178 | 26961 | 5585 | -4356 | 0.369 | 158 | 9 | 0.057
8/24/2025 | 7 | 73752 | 13789 | -11157 | 26453 | 5902 | -4775 | 0.361 | 834 | 240 | 0.288
8/24/2025 | 8 | 75632 | 12880 | -10592 | 24573 | 5513 | -4534 | 0.328 | 685 | 165 | 0.241
8/24/2025 | 9 | 79373 | 12614 | -10684 | 22946 | 5399 | -4573 | 0.292 | 549 | 111 | 0.202
8/24/2025 | 10 | 83671 | 12587 | -10851 | 22860 | 5388 | -4645 | 0.276 | 228 | 24 | 0.105
8/24/2025 | 11 | 88052 | 12768 | -11285 | 23616 | 5465 | -4830 | 0.271 | 167 | 1 | 0.006
8/24/2025 | 12 | 92748 | 13080 | -11527 | 24189 | 5598 | -4934 | 0.264 | 86 | 1 | 0.012
8/24/2025 | 13 | 98504 | 13379 | -12082 | 24645 | 5726 | -5171 | 0.253 | 57 | 0 | 0
8/24/2025 | 14 | 105077 | 14429 | -13444 | 26058 | 6176 | -5754 | 0.25 | 0 | 0 | 0
8/24/2025 | 15 | 110200 | 15346 | -14623 | 27740 | 6568 | -6259 | 0.253 | 0 | 0 | 0
8/24/2025 | 16 | 114421 | 15830 | -15387 | 28724 | 6775 | -6585 | 0.252 | 667 | 75 | 0.112
8/24/2025 | 17 | 118933 | 16369 | -15916 | 29806 | 7006 | -6812 | 0.251 | 622 | 13 | 0.021
8/24/2025 | 18 | 122558 | 17269 | -16753 | 31755 | 7391 | -7170 | 0.26 | 1013 | 172 | 0.17
8/24/2025 | 19 | 121196 | 17425 | -16562 | 32735 | 7458 | -7089 | 0.271 | 1058 | 133 | 0.126
8/24/2025 | 20 | 116424 | 17653 | -16657 | 33152 | 7556 | -7129 | 0.286 | 1285 | 289 | 0.225
8/24/2025 | 21 | 112750 | 16556 | -15594 | 32749 | 7086 | -6674 | 0.292 | 1352 | 358 | 0.265
8/24/2025 | 22 | 106247 | 16099 | -14674 | 31719 | 6891 | -6280 | 0.3 | 1518 | 453 | 0.298
8/24/2025 | 23 | 98160 | 13314 | -11297 | 31254 | 5698 | -4836 | 0.321 | 496 | 53 | 0.107
8/24/2025 | 24 | 90321 | 13242 | -10815 | 30600 | 5667 | -4629 | 0.341 | 647 | 148 | 0.229
8/25/2025 | 1 | 84677 | 13702 | -10961 | 29646 | 5864 | -4691 | 0.353 | 574 | 115 | 0.2
8/25/2025 | 2 | 80076 | 13523 | -10854 | 28668 | 5788 | -4646 | 0.36 | 717 | 180 | 0.251
8/25/2025 | 3 | 76634 | 13508 | -10844 | 28089 | 5781 | -4641 | 0.369 | 726 | 160 | 0.22
8/25/2025 | 4 | 74430 | 13609 | -10741 | 27692 | 5824 | -4597 | 0.374 | 770 | 200 | 0.26
8/25/2025 | 5 | 75293 | 13265 | -10707 | 27958 | 5678 | -4582 | 0.373 | 462 | 74 | 0.16
8/25/2025 | 6 | 78518 | 12947 | -10664 | 28270 | 5541 | -4564 | 0.362 | 379 | 42 | 0.111
8/25/2025 | 7 | 82847 | 16078 | -14114 | 28477 | 6881 | -6041 | 0.346 | 1806 | 600 | 0.332
8/25/2025 | 8 | 87065 | 14562 | -13229 | 27783 | 6232 | -5662 | 0.321 | 2043 | 1108 | 0.542
8/25/2025 | 9 | 90795 | 15379 | -14317 | 27454 | 6582 | -6127 | 0.304 | 2112 | 947 | 0.448
8/25/2025 | 10 | 93794 | 15155 | -14454 | 26978 | 6486 | -6187 | 0.289 | 1144 | 307 | 0.268
8/25/2025 | 11 | 96973 | 15422 | -14881 | 27000 | 6600 | -6369 | 0.279 | 1068 | 318 | 0.298
8/25/2025 | 12 | 100810 | 15677 | -15484 | 27390 | 6710 | -6627 | 0.272 | 807 | 292 | 0.362
8/25/2025 | 13 | 104824 | 17090 | -16884 | 27757 | 7314 | -7226 | 0.265 | 352 | 9 | 0.026
8/25/2025 | 14 | 109536 | 17692 | -17575 | 28741 | 7572 | -7522 | 0.263 | 588 | 143 | 0.243
8/25/2025 | 15 | 114490 | 17907 | -17651 | 29686 | 7664 | -7554 | 0.26 | 1104 | 401 | 0.363
8/25/2025 | 16 | 119184 | 17913 | -18144 | 30929 | 7667 | -7766 | 0.259 | 1679 | 531 | 0.316
8/25/2025 | 17 | 122099 | 19138 | -19776 | 31987 | 8191 | -8464 | 0.261 | 1614 | 535 | 0.331
8/25/2025 | 18 | 121736 | 20800 | -20927 | 32546 | 8902 | -8957 | 0.267 | 2899 | 1009 | 0.348
8/25/2025 | 19 | 117658 | 21984 | -21278 | 32377 | 9410 | -9107 | 0.276 | 3265 | 1063 | 0.326
8/25/2025 | 20 | 113334 | 21755 | -21034 | 32115 | 9311 | -9002 | 0.284 | 3602 | 1177 | 0.327
8/25/2025 | 21 | 109094 | 20274 | -19397 | 31438 | 8677 | -8302 | 0.289 | 3417 | 1080 | 0.316
8/25/2025 | 22 | 103893 | 19109 | -18284 | 30666 | 8178 | -7826 | 0.296 | 3756 | 1246 | 0.332
8/25/2025 | 23 | 96011 | 14776 | -13761 | 29399 | 6324 | -5890 | 0.307 | 2097 | 555 | 0.265
8/25/2025 | 24 | 88820 | 13784 | -12773 | 28175 | 5899 | -5467 | 0.318 | 2208 | 656 | 0.297
8/26/2025 | 1 | 83617 | 13699 | -12322 | 26908 | 5863 | -5274 | 0.324 | 1499 | 435 | 0.29
8/26/2025 | 2 | 79274 | 12399 | -10843 | 26553 | 5307 | -4641 | 0.337 | 356 | 20 | 0.056
8/26/2025 | 3 | 76120 | 12280 | -10486 | 26589 | 5256 | -4488 | 0.351 | 601 | 92 | 0.153
8/26/2025 | 4 | 74433 | 12319 | -10373 | 26440 | 5272 | -4439 | 0.357 | 704 | 123 | 0.175
8/26/2025 | 5 | 75073 | 11717 | -9855 | 26646 | 5015 | -4218 | 0.357 | 448 | 40 | 0.089
8/26/2025 | 6 | 77724 | 11754 | -9837 | 26798 | 5031 | -4210 | 0.347 | 247 | 15 | 0.061
8/26/2025 | 7 | 82121 | 15075 | -13513 | 26865 | 6452 | -5783 | 0.329 | 1236 | 248 | 0.201
8/26/2025 | 8 | 85351 | 13683 | -12250 | 26694 | 5856 | -5243 | 0.315 | 686 | 74 | 0.108
8/26/2025 | 9 | 87542 | 13904 | -12560 | 26300 | 5951 | -5376 | 0.302 | 149 | 12 | 0.081
8/26/2025 | 10 | 88886 | 13797 | -12768 | 25561 | 5905 | -5464 | 0.289 | 204 | 7 | 0.034
8/26/2025 | 11 | 90647 | 13603 | -12567 | 24944 | 5822 | -5379 | 0.277 | 260 | 24 | 0.092
8/26/2025 | 12 | 92636 | 13545 | -12668 | 24137 | 5798 | -5422 | 0.262 | 295 | 27 | 0.092
8/26/2025 | 13 | 96443 | 14313 | -13416 | 24006 | 6126 | -5742 | 0.251 | 121 | 1 | 0.008
8/26/2025 | 14 | 101582 | 14601 | -13987 | 24922 | 6249 | -5987 | 0.246 | 35 | 0 | 0
8/26/2025 | 15 | 106447 | 15214 | -15438 | 25017 | 6511 | -6608 | 0.235 | 0 | 0 | 0
8/26/2025 | 16 | 111188 | 16792 | -17315 | 26463 | 7187 | -7411 | 0.237 | 0 | 0 | 0
8/26/2025 | 17 | 114551 | 17838 | -18337 | 27666 | 7635 | -7848 | 0.241 | 30 | 1 | 0.033
8/26/2025 | 18 | 116314 | 18862 | -19055 | 28405 | 8073 | -8156 | 0.244 | 976 | 148 | 0.152
8/26/2025 | 19 | 115162 | 18814 | -18898 | 29366 | 8052 | -8088 | 0.255 | 1611 | 271 | 0.168
8/26/2025 | 20 | 111219 | 18271 | -17799 | 29305 | 7820 | -7618 | 0.264 | 1522 | 321 | 0.211
8/26/2025 | 21 | 107216 | 17817 | -16733 | 28696 | 7625 | -7162 | 0.269 | 1619 | 360 | 0.222
8/26/2025 | 22 | 101321 | 16545 | -15048 | 27925 | 7081 | -6440 | 0.278 | 1919 | 424 | 0.221
8/26/2025 | 23 | 93176 | 13890 | -11828 | 27434 | 5945 | -5062 | 0.297 | 1458 | 309 | 0.212
8/26/2025 | 24 | 86381 | 13519 | -11362 | 26885 | 5786 | -4863 | 0.314 | 1115 | 227 | 0.204
8/27/2025 | 1 | 81138 | 13928 | -11752 | 26071 | 5961 | -5030 | 0.324 | 626 | 62 | 0.099
8/27/2025 | 2 | 76760 | 13014 | -10740 | 25582 | 5570 | -4596 | 0.336 | 446 | 1 | 0.002
8/27/2025 | 3 | 73810 | 13118 | -10695 | 24934 | 5614 | -4577 | 0.341 | 556 | 34 | 0.061
8/27/2025 | 4 | 71720 | 12677 | -10287 | 24628 | 5426 | -4403 | 0.346 | 353 | 6 | 0.017
8/27/2025 | 5 | 72299 | 12560 | -10272 | 24431 | 5376 | -4396 | 0.341 | 377 | 9 | 0.024
8/27/2025 | 6 | 75182 | 12941 | -10753 | 24751 | 5539 | -4602 | 0.332 | 431 | 12 | 0.028
8/27/2025 | 7 | 79880 | 13723 | -12039 | 24866 | 5874 | -5153 | 0.314 | 1214 | 325 | 0.268
8/27/2025 | 8 | 83127 | 12266 | -11068 | 22619 | 5250 | -4737 | 0.274 | 672 | 157 | 0.234
8/27/2025 | 9 | 85956 | 12156 | -11001 | 21131 | 5203 | -4708 | 0.248 | 185 | 46 | 0.249
8/27/2025 | 10 | 88146 | 11951 | -11154 | 20585 | 5115 | -4774 | 0.235 | 10 | 1 | 0.1
8/27/2025 | 11 | 90064 | 11850 | -11104 | 20228 | 5072 | -4752 | 0.226 | 0 | 0 | 0
8/27/2025 | 12 | 92574 | 12245 | -11300 | 20401 | 5240 | -4837 | 0.222 | 7 | 0 | 0
8/27/2025 | 13 | 96663 | 12669 | -11949 | 20759 | 5422 | -5114 | 0.216 | 0 | 0 | 0
8/27/2025 | 14 | 102346 | 12606 | -12278 | 22167 | 5395 | -5255 | 0.217 | 0 | 0 | 0
8/27/2025 | 15 | 107411 | 13191 | -13243 | 24076 | 5646 | -5668 | 0.224 | 0 | 0 | 0
8/27/2025 | 16 | 111193 | 13569 | -13677 | 25305 | 5808 | -5854 | 0.227 | 0 | 0 | 0
8/27/2025 | 17 | 113787 | 15061 | -14889 | 26848 | 6446 | -6373 | 0.236 | 0 | 0 | 0
8/27/2025 | 18 | 114185 | 15362 | -15037 | 27892 | 6575 | -6435 | 0.245 | 342 | 1 | 0.003
8/27/2025 | 19 | 112427 | 15876 | -15447 | 28439 | 6795 | -6612 | 0.254 | 590 | 1 | 0.002
8/27/2025 | 20 | 109417 | 16228 | -15831 | 28661 | 6946 | -6776 | 0.263 | 975 | 48 | 0.049
8/27/2025 | 21 | 104746 | 15945 | -14727 | 28476 | 6824 | -6303 | 0.274 | 883 | 80 | 0.091
8/27/2025 | 22 | 99551 | 15055 | -13649 | 27995 | 6444 | -5842 | 0.283 | 1370 | 251 | 0.183
8/27/2025 | 23 | 91780 | 13358 | -11486 | 27488 | 5718 | -4916 | 0.302 | 591 | 67 | 0.113
8/27/2025 | 24 | 84644 | 12792 | -10640 | 26447 | 5475 | -4554 | 0.315 | 327 | 12 | 0.037
8/28/2025 | 1 | 79646 | 12657 | -10388 | 25450 | 5417 | -4446 | 0.323 | 413 | 32 | 0.077
8/28/2025 | 2 | 75687 | 12784 | -10445 | 25034 | 5472 | -4470 | 0.334 | 449 | 62 | 0.138
8/28/2025 | 3 | 73022 | 12729 | -10382 | 24834 | 5448 | -4444 | 0.343 | 874 | 180 | 0.206
8/28/2025 | 4 | 71746 | 12637 | -10288 | 24907 | 5409 | -4403 | 0.35 | 408 | 115 | 0.282
8/28/2025 | 5 | 72104 | 12571 | -10192 | 25073 | 5380 | -4362 | 0.35 | 444 | 76 | 0.171
8/28/2025 | 6 | 75363 | 12944 | -10610 | 25630 | 5540 | -4541 | 0.343 | 314 | 18 | 0.057
8/28/2025 | 7 | 79852 | 14144 | -12192 | 25771 | 6054 | -5218 | 0.325 | 1118 | 254 | 0.227
8/28/2025 | 8 | 82908 | 13890 | -12333 | 25078 | 5945 | -5279 | 0.305 | 1642 | 433 | 0.264
8/28/2025 | 9 | 85080 | 12728 | -11806 | 24520 | 5448 | -5053 | 0.29 | 1397 | 446 | 0.319
8/28/2025 | 10 | 86603 | 12420 | -11867 | 23732 | 5316 | -5079 | 0.275 | 406 | 80 | 0.197
8/28/2025 | 11 | 90191 | 12568 | -12283 | 23667 | 5379 | -5258 | 0.263 | 274 | 33 | 0.12
8/28/2025 | 12 | 92835 | 12812 | -12336 | 24131 | 5484 | -5279 | 0.261 | 290 | 24 | 0.083
8/28/2025 | 13 | 98335 | 13700 | -13445 | 25253 | 5864 | -5754 | 0.257 | 237 | 5 | 0.021
8/28/2025 | 14 | 102483 | 14132 | -14529 | 26202 | 6048 | -6218 | 0.255 | 0 | 0 | 0
8/28/2025 | 15 | 106099 | 14686 | -15435 | 27035 | 6286 | -6606 | 0.254 | 4 | 0 | 0
8/28/2025 | 16 | 109089 | 15256 | -15736 | 27525 | 6530 | -6735 | 0.252 | 272 | 1 | 0.004
8/28/2025 | 17 | 111358 | 16403 | -16580 | 28188 | 7021 | -7096 | 0.253 | 504 | 1 | 0.002
8/28/2025 | 18 | 111485 | 16507 | -16280 | 28612 | 7065 | -6968 | 0.257 | 429 | 2 | 0.005
8/28/2025 | 19 | 111296 | 17036 | -16699 | 29119 | 7291 | -7147 | 0.262 | 1019 | 90 | 0.088
8/28/2025 | 20 | 108153 | 16970 | -16382 | 29024 | 7263 | -7011 | 0.269 | 1348 | 227 | 0.168
8/28/2025 | 21 | 104672 | 16874 | -15583 | 28898 | 7222 | -6670 | 0.278 | 1128 | 140 | 0.124
8/28/2025 | 22 | 99554 | 14928 | -13480 | 28504 | 6389 | -5770 | 0.288 | 1549 | 350 | 0.226
8/28/2025 | 23 | 91884 | 12816 | -10875 | 28198 | 5485 | -4654 | 0.309 | 836 | 107 | 0.128
8/28/2025 | 24 | 84808 | 12743 | -10572 | 27624 | 5454 | -4525 | 0.328 | 718 | 91 | 0.127
8/29/2025 | 1 | 79975 | 12100 | -9881 | 26564 | 5178 | -4229 | 0.335 | 561 | 32 | 0.057
8/29/2025 | 2 | 76113 | 11926 | -9610 | 25577 | 5104 | -4113 | 0.339 | 608 | 64 | 0.105
8/29/2025 | 3 | 73094 | 11816 | -9505 | 24940 | 5057 | -4068 | 0.344 | 669 | 135 | 0.202
8/29/2025 | 4 | 71466 | 11633 | -9480 | 24646 | 4979 | -4057 | 0.347 | 660 | 158 | 0.239
8/29/2025 | 5 | 71495 | 11513 | -9436 | 24174 | 4928 | -4038 | 0.341 | 391 | 40 | 0.102
8/29/2025 | 6 | 73554 | 11990 | -9740 | 24323 | 5132 | -4169 | 0.334 | 468 | 23 | 0.049
8/29/2025 | 7 | 77647 | 13444 | -11739 | 24222 | 5754 | -5024 | 0.314 | 1140 | 272 | 0.239
8/29/2025 | 8 | 80154 | 12518 | -11144 | 22586 | 5358 | -4770 | 0.284 | 424 | 25 | 0.059
8/29/2025 | 9 | 82557 | 12684 | -11666 | 20433 | 5429 | -4993 | 0.25 | 162 | 1 | 0.006
8/29/2025 | 10 | 85064 | 12310 | -11314 | 19614 | 5269 | -4843 | 0.233 | 36 | 0 | 0
8/29/2025 | 11 | 87699 | 12435 | -11625 | 19380 | 5322 | -4976 | 0.223 | 0 | 0 | 0
8/29/2025 | 12 | 90884 | 12483 | -11876 | 19791 | 5343 | -5083 | 0.219 | 0 | 0 | 0
8/29/2025 | 13 | 95593 | 12215 | -12216 | 20198 | 5228 | -5228 | 0.211 | 0 | 0 | 0
8/29/2025 | 14 | 100869 | 12831 | -13333 | 20633 | 5492 | -5706 | 0.203 | 0 | 0 | 0
8/29/2025 | 15 | 106058 | 13644 | -14553 | 21694 | 5840 | -6229 | 0.203 | 0 | 0 | 0
8/29/2025 | 16 | 109755 | 13979 | -14831 | 22431 | 5983 | -6348 | 0.203 | 0 | 0 | 0
8/29/2025 | 17 | 112742 | 15466 | -15918 | 23712 | 6620 | -6813 | 0.209 | 0 | 0 | 0
8/29/2025 | 18 | 114572 | 16330 | -16588 | 25794 | 6989 | -7100 | 0.225 | 241 | 9 | 0.037
8/29/2025 | 19 | 112960 | 17465 | -17463 | 27750 | 7475 | -7474 | 0.246 | 1175 | 116 | 0.099
8/29/2025 | 20 | 107770 | 17512 | -17378 | 27424 | 7495 | -7438 | 0.255 | 1684 | 327 | 0.194
8/29/2025 | 21 | 103408 | 17451 | -16898 | 26996 | 7469 | -7232 | 0.262 | 1349 | 216 | 0.16
8/29/2025 | 22 | 97940 | 15945 | -14926 | 26696 | 6825 | -6388 | 0.274 | 1746 | 355 | 0.203
8/29/2025 | 23 | 91249 | 14205 | -12657 | 26407 | 6080 | -5417 | 0.292 | 1117 | 160 | 0.143
8/29/2025 | 24 | 84632 | 14442 | -12530 | 25667 | 6181 | -5363 | 0.306 | 1130 | 169 | 0.15
8/30/2025 | 1 | 79379 | 14147 | -12124 | 24518 | 6055 | -5189 | 0.312 | 698 | 104 | 0.149
8/30/2025 | 2 | 75026 | 14436 | -12125 | 23726 | 6178 | -5190 | 0.32 | 561 | 109 | 0.194
8/30/2025 | 3 | 71577 | 14676 | -12174 | 22958 | 6281 | -5211 | 0.324 | 706 | 123 | 0.174
8/30/2025 | 4 | 69786 | 13861 | -11739 | 22276 | 5933 | -5024 | 0.322 | 653 | 106 | 0.162
8/30/2025 | 5 | 68837 | 13606 | -11666 | 22139 | 5823 | -4993 | 0.325 | 551 | 59 | 0.107
8/30/2025 | 6 | 69062 | 13284 | -11514 | 22378 | 5685 | -4928 | 0.327 | 823 | 167 | 0.203
8/30/2025 | 7 | 69699 | 14684 | -12908 | 21701 | 6285 | -5524 | 0.314 | 1355 | 373 | 0.275
8/30/2025 | 8 | 71206 | 13170 | -11675 | 19136 | 5637 | -4997 | 0.272 | 798 | 190 | 0.238
8/30/2025 | 9 | 74849 | 12927 | -11626 | 17484 | 5532 | -4976 | 0.237 | 160 | 39 | 0.244
8/30/2025 | 10 | 77711 | 13202 | -12002 | 17486 | 5650 | -5137 | 0.228 | 30 | 0 | 0
8/30/2025 | 11 | 80876 | 12875 | -11724 | 17158 | 5510 | -5018 | 0.215 | 0 | 0 | 0
8/30/2025 | 12 | 84945 | 13097 | -12013 | 17698 | 5605 | -5142 | 0.211 | 0 | 0 | 0
8/30/2025 | 13 | 89732 | 13029 | -12122 | 18316 | 5576 | -5188 | 0.206 | 0 | 0 | 0
8/30/2025 | 14 | 95651 | 12672 | -12409 | 19341 | 5424 | -5311 | 0.203 | 0 | 0 | 0
8/30/2025 | 15 | 100864 | 12864 | -12746 | 20650 | 5506 | -5456 | 0.205 | 0 | 0 | 0
8/30/2025 | 16 | 105516 | 12984 | -12966 | 22045 | 5557 | -5550 | 0.209 | 0 | 0 | 0
8/30/2025 | 17 | 109344 | 15224 | -15155 | 23152 | 6516 | -6487 | 0.212 | 91 | 1 | 0.011
8/30/2025 | 18 | 111647 | 16519 | -16220 | 25486 | 7070 | -6942 | 0.229 | 700 | 25 | 0.036
8/30/2025 | 19 | 111187 | 17376 | -16701 | 27465 | 7437 | -7148 | 0.248 | 1028 | 21 | 0.02
8/30/2025 | 20 | 106154 | 17529 | -16619 | 27855 | 7502 | -7113 | 0.264 | 1614 | 321 | 0.199
8/30/2025 | 21 | 101436 | 17926 | -16709 | 27614 | 7673 | -7152 | 0.274 | 1316 | 271 | 0.206
8/30/2025 | 22 | 95805 | 17141 | -15514 | 27526 | 7336 | -6640 | 0.29 | 1349 | 309 | 0.229
8/30/2025 | 23 | 90340 | 15230 | -13834 | 27382 | 6518 | -5921 | 0.305 | 1718 | 346 | 0.201
8/30/2025 | 24 | 84671 | 13815 | -12514 | 26940 | 5913 | -5356 | 0.32 | 1550 | 338 | 0.218
8/31/2025 | 1 | 79518 | 13989 | -12462 | 25760 | 5988 | -5334 | 0.326 | 1150 | 220 | 0.191
8/31/2025 | 2 | 75007 | 13707 | -12166 | 24581 | 5866 | -5207 | 0.33 | 995 | 194 | 0.195
8/31/2025 | 3 | 71698 | 13858 | -12274 | 23228 | 5931 | -5253 | 0.326 | 1066 | 261 | 0.245
8/31/2025 | 4 | 68897 | 14214 | -12225 | 22403 | 6084 | -5232 | 0.328 | 870 | 185 | 0.213
8/31/2025 | 5 | 68059 | 14041 | -12173 | 22187 | 6009 | -5210 | 0.329 | 851 | 189 | 0.222
8/31/2025 | 6 | 67815 | 13843 | -12019 | 22094 | 5925 | -5144 | 0.328 | 1264 | 329 | 0.26
8/31/2025 | 7 | 68637 | 13503 | -12361 | 21906 | 5779 | -5291 | 0.321 | 1868 | 567 | 0.304
8/31/2025 | 8 | 69577 | 12193 | -10752 | 19577 | 5219 | -4602 | 0.284 | 1203 | 343 | 0.285
8/31/2025 | 9 | 72684 | 11652 | -10442 | 17365 | 4987 | -4469 | 0.242 | 397 | 103 | 0.259
8/31/2025 | 10 | 75974 | 11250 | -10544 | 17359 | 4815 | -4513 | 0.23 | 132 | 6 | 0.045
8/31/2025 | 11 | 80574 | 10814 | -10428 | 18245 | 4628 | -4463 | 0.227 | 208 | 48 | 0.231
8/31/2025 | 12 | 85533 | 10874 | -10764 | 19042 | 4654 | -4607 | 0.223 | 84 | 19 | 0.226
8/31/2025 | 13 | 91490 | 11384 | -11300 | 19720 | 4872 | -4836 | 0.216 | 119 | 25 | 0.21
8/31/2025 | 14 | 98204 | 11658 | -11645 | 21142 | 4990 | -4984 | 0.215 | 79 | 0 | 0
8/31/2025 | 15 | 103552 | 12248 | -12332 | 22586 | 5242 | -5278 | 0.218 | 59 | 0 | 0
8/31/2025 | 16 | 109523 | 12590 | -12812 | 24079 | 5389 | -5483 | 0.219 | 304 | 1 | 0.003
8/31/2025 | 17 | 113382 | 14120 | -14421 | 25300 | 6044 | -6172 | 0.223 | 118 | 0 | 0
8/31/2025 | 18 | 115660 | 16010 | -16058 | 27150 | 6852 | -6873 | 0.235 | 788 | 46 | 0.058
8/31/2025 | 19 | 115274 | 16937 | -16715 | 28816 | 7249 | -7154 | 0.25 | 1123 | 136 | 0.121
8/31/2025 | 20 | 110464 | 16741 | -16634 | 28848 | 7165 | -7119 | 0.261 | 1536 | 331 | 0.215
8/31/2025 | 21 | 104810 | 17358 | -16703 | 28235 | 7429 | -7149 | 0.27 | 1496 | 324 | 0.217
8/31/2025 | 22 | 99421 | 16403 | -15829 | 27866 | 7021 | -6775 | 0.281 | 1994 | 485 | 0.243
8/31/2025 | 23 | 93004 | 15097 | -14293 | 27524 | 6462 | -6118 | 0.297 | 1521 | 364 | 0.239
8/31/2025 | 24 | 86849 | 14648 | -13863 | 26970 | 6270 | -5934 | 0.312 | 952 | 134 | 0.141