## KEY
Average Emissions Rate Calculation
Background:
The CAISO is publishing this metric of an average emissions rate (AER) based on the discussion in the GHG working groups. CAISO discussed the metric at the November 27, 2023 GHG Coordination Working Group. A brief explanation of the methodology is included below:
Methodology:
1) Which resources are reflected in this example AER metric (all schedules are from the 5-minute market)
- All supply resources are included
- All demand response resources are excluded
- All energy storage resources are included (emissions rate used is 0 MTCO2e/MWh)
- Resources that were attributed to serve California are included
2) The AER measures all schedules ie. The total dispatach of the resources and not relative to WEIM base schedule
3) Bilateral transactions are included (emissions rate used is 0.428 MTCO2e/MWh) unless they are resource specific.
4) CAISO filled in missing heat rate and emissions rate data by using wtd averages from existing data
Key
TRADE_DT | Trade date of the reported data in MM/DD/YYYY format
TRADE_HR | Trade hour of the reported data. Data is reported as the "hour-ending", e.g. TRADE_HR = 2 is for the hour-ending 1:59:59AM Pacific time
GEN_MWH | MWh of electricity generation in the WEIM area* (including CAISO)
IMP_MWH | MWh of electricity imports into the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
EXP_MWH | MWh of electricity exports from the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
GEN_GHG | Greenhouse gas emissions in MTCO2e of electricity generation in the WEIM area
IMP_GHG | Greenhouse gas emissions in MTCO2e of electricity imports into the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
EXP_GHG | Greenhouse gas emissions in MTCO2e of electricity exports from the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
AVG_EM_RATE | Average emissions rate calculated as columns G through I divided by columns C through E
ATTR_MWH | MWh of WEIM transfers into California which, by definition, is equal to the sum of the GHG attributions
ATTR_GHG | Greenhouse gas emissions in MTCO2e of WEIM transfers into California (resource-specific)
ATTR_AVG_EM_RATE | Average emissions rate of WEIM transfers into California
CAISO PUBLIC

## AER_SUMMARY
TRADE_DT | TRADE_HR | GEN_MWH | IMP_MWH | EXP_MWH | GEN_GHG | IMP_GHG | EXP_GHG | AVG_EM_RATE | ATTR_MWH | ATTR_GHG | ATTR_AVG_EM_RATE
8/1/2026 | 1 | 96191 | 19583 | -20277 | 28802 | 8382 | -8679 | 0.298 | 359 | 23 | 0.064
8/1/2026 | 2 | 89837 | 18787 | -18723 | 27924 | 8041 | -8014 | 0.311 | 480 | 0 | 0
8/1/2026 | 3 | 85138 | 18304 | -17878 | 26503 | 7834 | -7652 | 0.312 | 640 | 21 | 0.033
8/1/2026 | 4 | 82022 | 17550 | -17052 | 25841 | 7512 | -7298 | 0.316 | 648 | 87 | 0.134
8/1/2026 | 5 | 79825 | 17624 | -16765 | 25140 | 7543 | -7176 | 0.316 | 886 | 179 | 0.202
8/1/2026 | 6 | 78880 | 17902 | -16648 | 24862 | 7662 | -7125 | 0.317 | 1270 | 328 | 0.258
8/1/2026 | 7 | 78738 | 20112 | -18766 | 23321 | 8608 | -8032 | 0.298 | 2138 | 633 | 0.296
8/1/2026 | 8 | 81960 | 18949 | -18149 | 20568 | 8110 | -7767 | 0.253 | 783 | 206 | 0.263
8/1/2026 | 9 | 85845 | 18250 | -17209 | 20107 | 7811 | -7366 | 0.237 | 500 | 78 | 0.156
8/1/2026 | 10 | 89598 | 17934 | -17366 | 20771 | 7676 | -7432 | 0.233 | 238 | 0 | 0
8/1/2026 | 11 | 94077 | 17413 | -17056 | 21346 | 7453 | -7300 | 0.228 | 128 | 0 | 0
8/1/2026 | 12 | 99789 | 16785 | -16930 | 22497 | 7184 | -7246 | 0.225 | 244 | 0 | 0
8/1/2026 | 13 | 105344 | 17145 | -17626 | 23160 | 7338 | -7544 | 0.219 | 133 | 0 | 0
8/1/2026 | 14 | 110730 | 18013 | -18576 | 23789 | 7710 | -7950 | 0.214 | 66 | 0 | 0
8/1/2026 | 15 | 116030 | 19361 | -20432 | 24576 | 8286 | -8745 | 0.21 | 0 | 0 | 0
8/1/2026 | 16 | 121371 | 20801 | -22053 | 26105 | 8903 | -9439 | 0.213 | 2 | 0 | 0
8/1/2026 | 17 | 124956 | 23766 | -25100 | 26841 | 10172 | -10743 | 0.213 | 89 | 0 | 0
8/1/2026 | 18 | 126756 | 25466 | -26053 | 28088 | 10900 | -11150 | 0.221 | 0 | 0 | 0
8/1/2026 | 19 | 128650 | 26923 | -27443 | 28974 | 11523 | -11746 | 0.224 | 124 | 0 | 0
8/1/2026 | 20 | 125182 | 26690 | -26991 | 29929 | 11424 | -11552 | 0.239 | 647 | 87 | 0.134
8/1/2026 | 21 | 119202 | 26023 | -25959 | 29584 | 11138 | -11110 | 0.248 | 836 | 99 | 0.118
8/1/2026 | 22 | 113432 | 25142 | -24828 | 28607 | 10761 | -10626 | 0.253 | 1111 | 38 | 0.034
8/1/2026 | 23 | 106093 | 22597 | -22269 | 28218 | 9671 | -9531 | 0.266 | 785 | 0 | 0
8/1/2026 | 24 | 98500 | 21332 | -20642 | 27667 | 9130 | -8835 | 0.282 | 1058 | 105 | 0.099
8/2/2026 | 1 | 93398 | 17501 | -17558 | 27480 | 7490 | -7515 | 0.294 | 1078 | 138 | 0.128
8/2/2026 | 2 | 87655 | 17660 | -16985 | 26634 | 7558 | -7270 | 0.305 | 856 | 32 | 0.037
8/2/2026 | 3 | 83424 | 16894 | -16123 | 25740 | 7231 | -6901 | 0.31 | 861 | 149 | 0.173
8/2/2026 | 4 | 80141 | 16871 | -15808 | 24889 | 7221 | -6766 | 0.312 | 588 | 76 | 0.129
8/2/2026 | 5 | 78161 | 16849 | -15359 | 24568 | 7212 | -6574 | 0.316 | 833 | 153 | 0.184
8/2/2026 | 6 | 77293 | 16931 | -15456 | 24120 | 7246 | -6615 | 0.314 | 847 | 163 | 0.192
8/2/2026 | 7 | 76898 | 17850 | -16333 | 23072 | 7640 | -6990 | 0.303 | 1108 | 298 | 0.269
8/2/2026 | 8 | 79280 | 16078 | -14878 | 20584 | 6881 | -6368 | 0.262 | 182 | 5 | 0.027
8/2/2026 | 9 | 83020 | 15770 | -15236 | 20006 | 6750 | -6521 | 0.242 | 123 | 0 | 0
8/2/2026 | 10 | 85545 | 15503 | -14758 | 20109 | 6635 | -6316 | 0.237 | 1 | 0 | 0
8/2/2026 | 11 | 90327 | 15433 | -15007 | 20684 | 6605 | -6423 | 0.23 | 143 | 0 | 0
8/2/2026 | 12 | 96247 | 16044 | -15808 | 21124 | 6867 | -6766 | 0.22 | 307 | 0 | 0
8/2/2026 | 13 | 101919 | 16918 | -16898 | 21161 | 7241 | -7232 | 0.208 | 282 | 0 | 0
8/2/2026 | 14 | 107196 | 18212 | -18121 | 21754 | 7795 | -7756 | 0.203 | 210 | 0 | 0
8/2/2026 | 15 | 112878 | 20016 | -19958 | 23209 | 8567 | -8542 | 0.206 | 60 | 0 | 0
8/2/2026 | 16 | 118315 | 21794 | -22102 | 24646 | 9328 | -9460 | 0.208 | 340 | 0 | 0
8/2/2026 | 17 | 122649 | 23751 | -24335 | 26052 | 10165 | -10415 | 0.211 | 518 | 0 | 0
8/2/2026 | 18 | 125853 | 25273 | -25556 | 27084 | 10816 | -10938 | 0.215 | 532 | 22 | 0.041
8/2/2026 | 19 | 127292 | 26559 | -26858 | 28533 | 11367 | -11495 | 0.224 | 729 | 22 | 0.03
8/2/2026 | 20 | 125008 | 26609 | -26932 | 29504 | 11389 | -11527 | 0.236 | 1507 | 150 | 0.1
8/2/2026 | 21 | 119614 | 25643 | -25742 | 29049 | 10975 | -11018 | 0.243 | 1597 | 224 | 0.14
8/2/2026 | 22 | 113742 | 24190 | -24232 | 28544 | 10353 | -10371 | 0.251 | 1319 | 160 | 0.121
8/2/2026 | 23 | 106100 | 19617 | -19504 | 28256 | 8396 | -8348 | 0.266 | 1358 | 210 | 0.155
8/2/2026 | 24 | 97692 | 18703 | -17969 | 27366 | 8005 | -7691 | 0.281 | 1658 | 328 | 0.198
8/3/2026 | 1 | 91777 | 17628 | -16786 | 26742 | 7545 | -7184 | 0.293 | 1658 | 346 | 0.209
8/3/2026 | 2 | 86947 | 17167 | -16464 | 25939 | 7348 | -7047 | 0.299 | 997 | 181 | 0.182
8/3/2026 | 3 | 83299 | 16968 | -16303 | 25408 | 7263 | -6978 | 0.306 | 672 | 69 | 0.103
8/3/2026 | 4 | 81168 | 16962 | -16281 | 25190 | 7260 | -6968 | 0.311 | 543 | 2 | 0.004
8/3/2026 | 5 | 81235 | 16722 | -16172 | 25421 | 7157 | -6921 | 0.314 | 661 | 0 | 0
8/3/2026 | 6 | 83643 | 17032 | -16550 | 25643 | 7290 | -7083 | 0.307 | 780 | 38 | 0.049
8/3/2026 | 7 | 86049 | 19887 | -18954 | 25405 | 8512 | -8113 | 0.297 | 899 | 59 | 0.066
8/3/2026 | 8 | 90202 | 19035 | -18462 | 24068 | 8147 | -7901 | 0.268 | 413 | 14 | 0.034
8/3/2026 | 9 | 93332 | 18255 | -17456 | 23347 | 7813 | -7472 | 0.252 | 239 | 0 | 0
8/3/2026 | 10 | 96426 | 18073 | -17839 | 23222 | 7735 | -7635 | 0.241 | 102 | 0 | 0
8/3/2026 | 11 | 100617 | 18842 | -19046 | 23946 | 8064 | -8152 | 0.238 | 63 | 0 | 0
8/3/2026 | 12 | 105397 | 19446 | -19766 | 24039 | 8323 | -8460 | 0.227 | 119 | 0 | 0
8/3/2026 | 13 | 110674 | 20022 | -20220 | 24246 | 8569 | -8654 | 0.219 | 254 | 0 | 0
8/3/2026 | 14 | 116040 | 21337 | -21279 | 25270 | 9132 | -9108 | 0.218 | 87 | 0 | 0
8/3/2026 | 15 | 121030 | 22282 | -22287 | 26238 | 9537 | -9539 | 0.217 | 702 | 75 | 0.107
8/3/2026 | 16 | 125717 | 23044 | -23369 | 26761 | 9863 | -10002 | 0.212 | 838 | 88 | 0.105
8/3/2026 | 17 | 129220 | 24966 | -25239 | 27313 | 10686 | -10802 | 0.211 | 1243 | 166 | 0.134
8/3/2026 | 18 | 132029 | 25761 | -26122 | 28021 | 11026 | -11180 | 0.212 | 1513 | 178 | 0.118
8/3/2026 | 19 | 132464 | 27695 | -27903 | 29865 | 11854 | -11943 | 0.225 | 1479 | 205 | 0.139
8/3/2026 | 20 | 128683 | 28062 | -27905 | 31356 | 12010 | -11943 | 0.244 | 1249 | 268 | 0.215
8/3/2026 | 21 | 123071 | 27560 | -27349 | 30842 | 11796 | -11705 | 0.251 | 1180 | 134 | 0.114
8/3/2026 | 22 | 116559 | 26154 | -25948 | 30115 | 11194 | -11106 | 0.259 | 1727 | 220 | 0.127
8/3/2026 | 23 | 108412 | 19600 | -19651 | 29885 | 8389 | -8411 | 0.276 | 977 | 21 | 0.021
8/3/2026 | 24 | 99798 | 18422 | -18174 | 29338 | 7885 | -7778 | 0.294 | 1218 | 142 | 0.117
8/4/2026 | 1 | 93646 | 17773 | -17502 | 28660 | 7607 | -7491 | 0.306 | 830 | 42 | 0.051
8/4/2026 | 2 | 88136 | 17006 | -16626 | 27811 | 7278 | -7116 | 0.316 | 747 | 26 | 0.035
8/4/2026 | 3 | 84076 | 16827 | -16470 | 27103 | 7202 | -7049 | 0.323 | 562 | 14 | 0.025
8/4/2026 | 4 | 81846 | 16526 | -16326 | 26714 | 7073 | -6987 | 0.327 | 730 | 94 | 0.129
8/4/2026 | 5 | 81560 | 16571 | -16249 | 26814 | 7092 | -6954 | 0.329 | 840 | 118 | 0.14
8/4/2026 | 6 | 83623 | 17250 | -16822 | 27074 | 7383 | -7200 | 0.324 | 958 | 176 | 0.184
8/4/2026 | 7 | 85632 | 20982 | -20085 | 26387 | 8980 | -8596 | 0.309 | 1019 | 82 | 0.08
8/4/2026 | 8 | 89184 | 21814 | -21294 | 24409 | 9336 | -9114 | 0.275 | 732 | 114 | 0.156
8/4/2026 | 9 | 92602 | 21312 | -21148 | 23618 | 9122 | -9051 | 0.255 | 407 | 12 | 0.029
8/4/2026 | 10 | 94772 | 20973 | -20908 | 23601 | 8977 | -8949 | 0.249 | 295 | 0 | 0
8/4/2026 | 11 | 97033 | 20873 | -21002 | 23629 | 8933 | -8989 | 0.243 | 2 | 0 | 0
8/4/2026 | 12 | 100606 | 21150 | -21316 | 23774 | 9052 | -9124 | 0.236 | 143 | 0 | 0
8/4/2026 | 13 | 105829 | 21615 | -21888 | 23895 | 9251 | -9368 | 0.225 | 16 | 0 | 0
8/4/2026 | 14 | 111924 | 22254 | -22568 | 24514 | 9525 | -9659 | 0.218 | 99 | 0 | 0
8/4/2026 | 15 | 117208 | 23962 | -24382 | 25489 | 10256 | -10436 | 0.217 | 296 | 4 | 0.014
8/4/2026 | 16 | 122110 | 24435 | -25082 | 26180 | 10458 | -10735 | 0.213 | 493 | 0 | 0
8/4/2026 | 17 | 126522 | 25695 | -26479 | 26770 | 10997 | -11333 | 0.21 | 403 | 0 | 0
8/4/2026 | 18 | 128760 | 26526 | -27166 | 27821 | 11353 | -11627 | 0.215 | 473 | 0 | 0
8/4/2026 | 19 | 129032 | 28062 | -28436 | 29203 | 12011 | -12171 | 0.226 | 424 | 0 | 0
8/4/2026 | 20 | 125143 | 28512 | -28652 | 30425 | 12203 | -12263 | 0.243 | 459 | 4 | 0.009
8/4/2026 | 21 | 120893 | 26106 | -26246 | 29762 | 11174 | -11233 | 0.246 | 1084 | 1 | 0.001
8/4/2026 | 22 | 114994 | 24350 | -24134 | 28706 | 10422 | -10330 | 0.25 | 690 | 0 | 0
8/4/2026 | 23 | 106388 | 20063 | -20180 | 28586 | 8587 | -8637 | 0.269 | 384 | 0 | 0
8/4/2026 | 24 | 97840 | 18500 | -18237 | 27995 | 7918 | -7806 | 0.287 | 463 | 0 | 0
8/5/2026 | 1 | 91868 | 17048 | -16460 | 28004 | 7296 | -7045 | 0.306 | 70 | 0 | 0
8/5/2026 | 2 | 87194 | 16560 | -16008 | 27460 | 7088 | -6852 | 0.316 | 106 | 7 | 0.066
8/5/2026 | 3 | 83392 | 16566 | -15858 | 26928 | 7091 | -6787 | 0.324 | 358 | 14 | 0.039
8/5/2026 | 4 | 81381 | 15937 | -15270 | 26947 | 6821 | -6535 | 0.332 | 361 | 0 | 0
8/5/2026 | 5 | 80940 | 16112 | -15179 | 26999 | 6896 | -6497 | 0.335 | 423 | 0 | 0
8/5/2026 | 6 | 82911 | 16457 | -15585 | 27165 | 7044 | -6671 | 0.329 | 313 | 0 | 0
8/5/2026 | 7 | 85508 | 21958 | -20758 | 26228 | 9398 | -8884 | 0.308 | 893 | 104 | 0.116
8/5/2026 | 8 | 89019 | 22428 | -21433 | 24868 | 9599 | -9173 | 0.281 | 613 | 25 | 0.041
8/5/2026 | 9 | 92352 | 21971 | -21427 | 24383 | 9403 | -9171 | 0.265 | 521 | 4 | 0.008
8/5/2026 | 10 | 94508 | 21944 | -21421 | 24095 | 9392 | -9168 | 0.256 | 575 | 8 | 0.014
8/5/2026 | 11 | 97525 | 22720 | -22058 | 24492 | 9724 | -9441 | 0.252 | 328 | 0 | 0
8/5/2026 | 12 | 101273 | 22996 | -22637 | 24708 | 9842 | -9688 | 0.245 | 230 | 11 | 0.048
8/5/2026 | 13 | 106090 | 23581 | -23143 | 24904 | 10093 | -9905 | 0.236 | 111 | 8 | 0.072
8/5/2026 | 14 | 111624 | 25061 | -24533 | 25287 | 10726 | -10501 | 0.227 | 7 | 1 | 0.143
8/5/2026 | 15 | 117486 | 25832 | -25566 | 25756 | 11056 | -10942 | 0.22 | 47 | 3 | 0.064
8/5/2026 | 16 | 122872 | 25798 | -25434 | 26514 | 11041 | -10886 | 0.216 | 146 | 6 | 0.041
8/5/2026 | 17 | 127010 | 28065 | -27688 | 26822 | 12012 | -11850 | 0.212 | 323 | 13 | 0.04
8/5/2026 | 18 | 130729 | 28313 | -28567 | 27593 | 12118 | -12227 | 0.211 | 284 | 18 | 0.063
8/5/2026 | 19 | 130109 | 30211 | -30518 | 28873 | 12930 | -13062 | 0.221 | 85 | 3 | 0.035
8/5/2026 | 20 | 126042 | 29591 | -29607 | 29962 | 12665 | -12672 | 0.238 | 452 | 17 | 0.038
8/5/2026 | 21 | 121509 | 29551 | -29201 | 29882 | 12648 | -12498 | 0.246 | 951 | 41 | 0.043
8/5/2026 | 22 | 115484 | 27588 | -27056 | 29493 | 11808 | -11580 | 0.256 | 897 | 21 | 0.023
8/5/2026 | 23 | 107131 | 19268 | -19264 | 29737 | 8247 | -8245 | 0.278 | 263 | 6 | 0.023
8/5/2026 | 24 | 98768 | 17928 | -17854 | 29654 | 7673 | -7642 | 0.3 | 500 | 12 | 0.024
8/6/2026 | 1 | 92735 | 16242 | -15878 | 29114 | 6951 | -6796 | 0.314 | 449 | 21 | 0.047
8/6/2026 | 2 | 87654 | 16095 | -15554 | 28289 | 6889 | -6657 | 0.323 | 591 | 0 | 0
8/6/2026 | 3 | 83993 | 15862 | -15550 | 27654 | 6789 | -6656 | 0.33 | 598 | 0 | 0
8/6/2026 | 4 | 82147 | 15628 | -15402 | 27261 | 6689 | -6592 | 0.332 | 658 | 0 | 0
8/6/2026 | 5 | 81887 | 15882 | -15631 | 27021 | 6797 | -6690 | 0.33 | 760 | 14 | 0.018
8/6/2026 | 6 | 83989 | 16500 | -16178 | 27609 | 7062 | -6924 | 0.329 | 659 | 14 | 0.021
8/6/2026 | 7 | 86620 | 19539 | -19014 | 27002 | 8363 | -8138 | 0.312 | 1072 | 172 | 0.16
8/6/2026 | 8 | 90042 | 19892 | -19538 | 25286 | 8514 | -8362 | 0.281 | 544 | 49 | 0.09
8/6/2026 | 9 | 93042 | 20193 | -19595 | 24892 | 8643 | -8387 | 0.269 | 388 | 0 | 0
8/6/2026 | 10 | 95398 | 19892 | -19547 | 24478 | 8514 | -8366 | 0.257 | 289 | 0 | 0
8/6/2026 | 11 | 98929 | 19916 | -19556 | 24399 | 8524 | -8370 | 0.247 | 244 | 0 | 0
8/6/2026 | 12 | 104138 | 20224 | -19975 | 25582 | 8656 | -8549 | 0.246 | 64 | 0 | 0
8/6/2026 | 13 | 110291 | 21007 | -20948 | 25997 | 8991 | -8966 | 0.236 | 78 | 0 | 0
8/6/2026 | 14 | 116681 | 22096 | -21993 | 26454 | 9457 | -9413 | 0.227 | 0 | 0 | 0
8/6/2026 | 15 | 122693 | 23985 | -24195 | 27339 | 10266 | -10356 | 0.222 | 7 | 0 | 0
8/6/2026 | 16 | 127715 | 24572 | -25229 | 27933 | 10517 | -10798 | 0.218 | 306 | 11 | 0.036
8/6/2026 | 17 | 131736 | 27781 | -28899 | 28161 | 11890 | -12369 | 0.212 | 126 | 5 | 0.04
8/6/2026 | 18 | 134601 | 27291 | -28840 | 28585 | 11681 | -12343 | 0.21 | 846 | 14 | 0.017
8/6/2026 | 19 | 132818 | 28671 | -29640 | 29568 | 12271 | -12686 | 0.221 | 1168 | 93 | 0.08
8/6/2026 | 20 | 127895 | 28605 | -29215 | 30405 | 12243 | -12504 | 0.237 | 870 | 33 | 0.038
8/6/2026 | 21 | 122401 | 27604 | -27582 | 29795 | 11815 | -11805 | 0.243 | 573 | 21 | 0.037
8/6/2026 | 22 | 116956 | 25894 | -25586 | 29532 | 11083 | -10951 | 0.253 | 870 | 83 | 0.095
8/6/2026 | 23 | 108723 | 18956 | -19006 | 29637 | 8113 | -8135 | 0.273 | 1043 | 76 | 0.073
8/6/2026 | 24 | 100231 | 18468 | -18160 | 29454 | 7904 | -7772 | 0.294 | 1087 | 122 | 0.112
8/7/2026 | 1 | 94223 | 16708 | -16494 | 29184 | 7151 | -7060 | 0.31 | 661 | 139 | 0.21
8/7/2026 | 2 | 88783 | 16107 | -15745 | 28691 | 6894 | -6739 | 0.324 | 991 | 165 | 0.166
8/7/2026 | 3 | 84593 | 16120 | -15543 | 27974 | 6899 | -6652 | 0.331 | 652 | 160 | 0.245
8/7/2026 | 4 | 82055 | 15571 | -14967 | 27317 | 6664 | -6406 | 0.334 | 812 | 239 | 0.294
8/7/2026 | 5 | 81243 | 16178 | -15469 | 26499 | 6924 | -6621 | 0.327 | 483 | 118 | 0.244
8/7/2026 | 6 | 83229 | 16610 | -15823 | 26870 | 7109 | -6772 | 0.324 | 717 | 145 | 0.202
8/7/2026 | 7 | 85984 | 19429 | -18420 | 26745 | 8316 | -7884 | 0.312 | 1427 | 374 | 0.262
8/7/2026 | 8 | 89774 | 18629 | -17952 | 25224 | 7973 | -7683 | 0.282 | 628 | 135 | 0.215
8/7/2026 | 9 | 93748 | 18984 | -18119 | 24185 | 8125 | -7755 | 0.26 | 253 | 35 | 0.138
8/7/2026 | 10 | 96989 | 18942 | -18265 | 24311 | 8108 | -7817 | 0.252 | 53 | 0 | 0
8/7/2026 | 11 | 101469 | 19250 | -19026 | 24896 | 8239 | -8143 | 0.246 | 159 | 0 | 0
8/7/2026 | 12 | 107113 | 19065 | -19381 | 25388 | 8160 | -8295 | 0.236 | 146 | 0 | 0
8/7/2026 | 13 | 113686 | 19393 | -20119 | 25682 | 8300 | -8611 | 0.225 | 224 | 0 | 0
8/7/2026 | 14 | 119452 | 20824 | -21646 | 26478 | 8913 | -9264 | 0.22 | 0 | 0 | 0
8/7/2026 | 15 | 125522 | 22587 | -23696 | 27319 | 9667 | -10142 | 0.216 | 0 | 0 | 0
8/7/2026 | 16 | 130001 | 23168 | -24462 | 27864 | 9916 | -10470 | 0.212 | 0 | 0 | 0
8/7/2026 | 17 | 133515 | 26156 | -27248 | 28238 | 11194 | -11662 | 0.21 | 0 | 0 | 0
8/7/2026 | 18 | 135193 | 26093 | -27301 | 28944 | 11168 | -11685 | 0.212 | 0 | 0 | 0
8/7/2026 | 19 | 133524 | 27103 | -28250 | 29624 | 11600 | -12091 | 0.22 | 36 | 0 | 0
8/7/2026 | 20 | 128222 | 27469 | -28255 | 29802 | 11757 | -12093 | 0.231 | 375 | 0 | 0
8/7/2026 | 21 | 122837 | 27359 | -27663 | 29378 | 11710 | -11840 | 0.239 | 149 | 0 | 0
8/7/2026 | 22 | 116954 | 26176 | -26304 | 28738 | 11203 | -11258 | 0.246 | 0 | 0 | 0
8/7/2026 | 23 | 109372 | 20779 | -20691 | 28638 | 8894 | -8856 | 0.262 | 153 | 0 | 0
8/7/2026 | 24 | 101649 | 19440 | -19035 | 28560 | 8320 | -8147 | 0.282 | 284 | 0 | 0
8/8/2026 | 1 | 96568 | 17986 | -17725 | 28357 | 7698 | -7587 | 0.294 | 680 | 7 | 0.01
8/8/2026 | 2 | 91183 | 17031 | -16900 | 28181 | 7289 | -7234 | 0.309 | 432 | 0 | 0
8/8/2026 | 3 | 86173 | 16652 | -16253 | 27093 | 7127 | -6956 | 0.315 | 30 | 0 | 0
8/8/2026 | 4 | 83340 | 16561 | -16185 | 26537 | 7088 | -6927 | 0.319 | 0 | 0 | 0
8/8/2026 | 5 | 82082 | 15763 | -15477 | 26495 | 6747 | -6624 | 0.323 | 264 | 0 | 0
8/8/2026 | 6 | 81517 | 16057 | -15616 | 26616 | 6872 | -6684 | 0.327 | 450 | 3 | 0.007
8/8/2026 | 7 | 81493 | 18925 | -18380 | 25694 | 8100 | -7867 | 0.316 | 446 | 15 | 0.034
8/8/2026 | 8 | 83874 | 18762 | -18135 | 23372 | 8030 | -7762 | 0.28 | 333 | 4 | 0.012
8/8/2026 | 9 | 87843 | 18100 | -17826 | 22984 | 7747 | -7630 | 0.262 | 37 | 0 | 0
8/8/2026 | 10 | 91361 | 18286 | -18145 | 22837 | 7826 | -7766 | 0.25 | 8 | 0 | 0
8/8/2026 | 11 | 95614 | 18507 | -18366 | 23030 | 7921 | -7861 | 0.241 | 109 | 0 | 0
8/8/2026 | 12 | 100987 | 19120 | -19244 | 23715 | 8183 | -8237 | 0.235 | 0 | 0 | 0
8/8/2026 | 13 | 106280 | 19549 | -19863 | 23457 | 8367 | -8501 | 0.22 | 0 | 0 | 0
8/8/2026 | 14 | 112284 | 20328 | -20893 | 24188 | 8700 | -8942 | 0.214 | 0 | 0 | 0
8/8/2026 | 15 | 118596 | 21567 | -22617 | 25206 | 9231 | -9681 | 0.211 | 0 | 0 | 0
8/8/2026 | 16 | 124165 | 22882 | -24331 | 26308 | 9794 | -10414 | 0.209 | 0 | 0 | 0
8/8/2026 | 17 | 128822 | 25661 | -27635 | 27216 | 10983 | -11828 | 0.208 | 0 | 0 | 0
8/8/2026 | 18 | 132538 | 27135 | -29611 | 28045 | 11614 | -12673 | 0.207 | 0 | 0 | 0
8/8/2026 | 19 | 132330 | 28648 | -30811 | 29010 | 12262 | -13187 | 0.216 | 38 | 0 | 0
8/8/2026 | 20 | 127120 | 28399 | -30261 | 29130 | 12154 | -12952 | 0.226 | 132 | 0 | 0
8/8/2026 | 21 | 120698 | 27566 | -28456 | 28802 | 11798 | -12179 | 0.237 | 41 | 0 | 0
8/8/2026 | 22 | 115308 | 26771 | -27659 | 29083 | 11458 | -11838 | 0.251 | 66 | 0 | 0
8/8/2026 | 23 | 108044 | 21006 | -21969 | 29216 | 8991 | -9403 | 0.269 | 114 | 0 | 0
8/8/2026 | 24 | 100203 | 19082 | -19499 | 28710 | 8167 | -8346 | 0.286 | 266 | 0 | 0
8/9/2026 | 1 | 94902 | 18372 | -18763 | 28065 | 7863 | -8030 | 0.295 | 115 | 6 | 0.052
8/9/2026 | 2 | 89635 | 18095 | -18150 | 27212 | 7745 | -7768 | 0.304 | 259 | 0 | 0
8/9/2026 | 3 | 85446 | 17483 | -17471 | 26204 | 7483 | -7478 | 0.307 | 544 | 0 | 0
8/9/2026 | 4 | 82574 | 17366 | -17357 | 25413 | 7433 | -7429 | 0.308 | 583 | 0 | 0
8/9/2026 | 5 | 80688 | 17605 | -17584 | 24798 | 7535 | -7526 | 0.307 | 561 | 0 | 0
8/9/2026 | 6 | 80116 | 17884 | -18003 | 24767 | 7654 | -7705 | 0.309 | 468 | 27 | 0.058
8/9/2026 | 7 | 79919 | 18938 | -19126 | 23932 | 8105 | -8186 | 0.299 | 598 | 64 | 0.107
8/9/2026 | 8 | 81779 | 17690 | -17941 | 21759 | 7571 | -7679 | 0.266 | 174 | 5 | 0.029
8/9/2026 | 9 | 85785 | 17571 | -17800 | 21249 | 7520 | -7618 | 0.247 | 38 | 0 | 0
8/9/2026 | 10 | 88911 | 18239 | -18372 | 20673 | 7806 | -7863 | 0.232 | 2 | 0 | 0
8/9/2026 | 11 | 93262 | 17982 | -18192 | 20611 | 7696 | -7786 | 0.221 | 79 | 0 | 0
8/9/2026 | 12 | 98782 | 18055 | -18315 | 21365 | 7727 | -7839 | 0.216 | 25 | 0 | 0
8/9/2026 | 13 | 104733 | 18734 | -19099 | 22210 | 8018 | -8174 | 0.211 | 0 | 0 | 0
8/9/2026 | 14 | 111754 | 20113 | -20984 | 24084 | 8609 | -8981 | 0.214 | 0 | 0 | 0
8/9/2026 | 15 | 118340 | 21523 | -23013 | 25462 | 9212 | -9850 | 0.212 | 0 | 0 | 0
8/9/2026 | 16 | 123839 | 22497 | -24380 | 26593 | 9629 | -10434 | 0.211 | 0 | 0 | 0
8/9/2026 | 17 | 128114 | 24308 | -26596 | 27829 | 10404 | -11383 | 0.213 | 0 | 0 | 0
8/9/2026 | 18 | 130943 | 25730 | -28027 | 28582 | 11012 | -11996 | 0.215 | 0 | 0 | 0
8/9/2026 | 19 | 130422 | 27113 | -29325 | 29288 | 11604 | -12551 | 0.221 | 0 | 0 | 0
8/9/2026 | 20 | 125814 | 27559 | -28991 | 30210 | 11795 | -12408 | 0.238 | 0 | 0 | 0
8/9/2026 | 21 | 120769 | 26412 | -27561 | 30521 | 11305 | -11796 | 0.251 | 8 | 0 | 0
8/9/2026 | 22 | 114501 | 26279 | -27307 | 30542 | 11248 | -11688 | 0.265 | 351 | 5 | 0.014
8/9/2026 | 23 | 105236 | 21871 | -22257 | 30630 | 9361 | -9526 | 0.291 | 474 | 9 | 0.019
8/9/2026 | 24 | 97455 | 20533 | -20744 | 29600 | 8788 | -8879 | 0.303 | 1168 | 227 | 0.194
8/10/2026 | 1 | 91886 | 19003 | -19264 | 27832 | 8133 | -8245 | 0.303 | 2008 | 649 | 0.323
8/10/2026 | 2 | 87196 | 18973 | -18978 | 26760 | 8120 | -8123 | 0.307 | 1865 | 462 | 0.248
8/10/2026 | 3 | 83179 | 19484 | -19248 | 25886 | 8339 | -8238 | 0.312 | 1201 | 266 | 0.221
8/10/2026 | 4 | 81349 | 18952 | -18808 | 25686 | 8112 | -8050 | 0.316 | 1055 | 215 | 0.204
8/10/2026 | 5 | 81819 | 18851 | -18874 | 25556 | 8068 | -8078 | 0.312 | 1302 | 296 | 0.227
8/10/2026 | 6 | 84596 | 18187 | -18462 | 26097 | 7784 | -7902 | 0.308 | 924 | 156 | 0.169
8/10/2026 | 7 | 87975 | 21158 | -21265 | 26083 | 9055 | -9101 | 0.296 | 2326 | 672 | 0.289
8/10/2026 | 8 | 91548 | 19892 | -19810 | 25456 | 8514 | -8479 | 0.278 | 1252 | 342 | 0.273
8/10/2026 | 9 | 95173 | 19545 | -19579 | 24603 | 8365 | -8380 | 0.258 | 536 | 92 | 0.172
8/10/2026 | 10 | 98896 | 19929 | -20271 | 24281 | 8530 | -8676 | 0.245 | 342 | 63 | 0.184
8/10/2026 | 11 | 103142 | 19736 | -20390 | 24937 | 8447 | -8727 | 0.241 | 78 | 1 | 0.013
8/10/2026 | 12 | 107688 | 19858 | -20616 | 25798 | 8499 | -8824 | 0.238 | 0 | 0 | 0
8/10/2026 | 13 | 113102 | 20454 | -21562 | 26284 | 8754 | -9229 | 0.23 | 17 | 0 | 0
8/10/2026 | 14 | 118159 | 21950 | -23188 | 27193 | 9394 | -9924 | 0.228 | 44 | 0 | 0
8/10/2026 | 15 | 123336 | 23434 | -25247 | 28026 | 10030 | -10806 | 0.224 | 123 | 0 | 0
8/10/2026 | 16 | 127954 | 23844 | -25790 | 28481 | 10205 | -11038 | 0.219 | 187 | 0 | 0
8/10/2026 | 17 | 130399 | 27051 | -29087 | 28900 | 11578 | -12449 | 0.218 | 354 | 6 | 0.017
8/10/2026 | 18 | 132721 | 27315 | -29584 | 29030 | 11691 | -12662 | 0.215 | 119 | 1 | 0.008
8/10/2026 | 19 | 131697 | 28123 | -30691 | 29509 | 12036 | -13136 | 0.22 | 128 | 5 | 0.039
8/10/2026 | 20 | 126412 | 27629 | -29568 | 29611 | 11825 | -12655 | 0.231 | 756 | 21 | 0.028
8/10/2026 | 21 | 121421 | 26906 | -28043 | 29364 | 11516 | -12002 | 0.24 | 941 | 20 | 0.021
8/10/2026 | 22 | 114947 | 25788 | -26208 | 29302 | 11037 | -11217 | 0.254 | 876 | 21 | 0.024
8/10/2026 | 23 | 107272 | 19594 | -20318 | 29035 | 8386 | -8696 | 0.27 | 685 | 8 | 0.012
8/10/2026 | 24 | 98487 | 19338 | -19511 | 28542 | 8277 | -8350 | 0.29 | 474 | 29 | 0.061
8/11/2026 | 1 | 92275 | 18338 | -18155 | 27748 | 7849 | -7770 | 0.301 | 201 | 14 | 0.07
8/11/2026 | 2 | 87285 | 18033 | -17794 | 27157 | 7718 | -7616 | 0.311 | 66 | 0 | 0
8/11/2026 | 3 | 83452 | 17259 | -17017 | 26378 | 7387 | -7284 | 0.316 | 428 | 0 | 0
8/11/2026 | 4 | 81337 | 17036 | -16841 | 26045 | 7291 | -7208 | 0.32 | 386 | 0 | 0
8/11/2026 | 5 | 80959 | 17252 | -17025 | 25936 | 7384 | -7286 | 0.321 | 333 | 0 | 0
8/11/2026 | 6 | 82961 | 16843 | -16636 | 26035 | 7209 | -7120 | 0.314 | 335 | 8 | 0.024
8/11/2026 | 7 | 86773 | 19161 | -19307 | 26023 | 8201 | -8263 | 0.3 | 813 | 169 | 0.208
8/11/2026 | 8 | 90337 | 18948 | -19264 | 25764 | 8110 | -8245 | 0.285 | 714 | 94 | 0.132
8/11/2026 | 9 | 93241 | 19034 | -19560 | 24976 | 8146 | -8372 | 0.267 | 333 | 0 | 0
8/11/2026 | 10 | 95842 | 19398 | -20308 | 24308 | 8302 | -8692 | 0.252 | 241 | 36 | 0.149
8/11/2026 | 11 | 99001 | 18381 | -19516 | 24211 | 7867 | -8352 | 0.242 | 308 | 62 | 0.201
8/11/2026 | 12 | 103110 | 19575 | -20955 | 24852 | 8378 | -8969 | 0.238 | 99 | 10 | 0.101
8/11/2026 | 13 | 108164 | 19776 | -21509 | 25492 | 8464 | -9206 | 0.233 | 0 | 0 | 0
8/11/2026 | 14 | 113031 | 20705 | -22515 | 26081 | 8862 | -9636 | 0.228 | 0 | 0 | 0
8/11/2026 | 15 | 118189 | 21889 | -24188 | 26434 | 9369 | -10352 | 0.22 | 5 | 0 | 0
8/11/2026 | 16 | 122562 | 24412 | -26894 | 27048 | 10448 | -11511 | 0.216 | 549 | 27 | 0.049
8/11/2026 | 17 | 125674 | 27576 | -29768 | 27688 | 11802 | -12741 | 0.217 | 616 | 0 | 0
8/11/2026 | 18 | 127495 | 28116 | -30206 | 28119 | 12033 | -12928 | 0.217 | 497 | 0 | 0
8/11/2026 | 19 | 127395 | 28317 | -30243 | 28865 | 12120 | -12944 | 0.223 | 408 | 0 | 0
8/11/2026 | 20 | 122160 | 27425 | -29049 | 29022 | 11738 | -12433 | 0.235 | 727 | 7 | 0.01
8/11/2026 | 21 | 117574 | 27571 | -28844 | 28858 | 11800 | -12345 | 0.243 | 1247 | 99 | 0.079
8/11/2026 | 22 | 111639 | 26506 | -27022 | 28960 | 11344 | -11565 | 0.259 | 1905 | 378 | 0.198
8/11/2026 | 23 | 102962 | 21890 | -21599 | 28488 | 9369 | -9244 | 0.277 | 710 | 0 | 0
8/11/2026 | 24 | 95212 | 19985 | -19608 | 27839 | 8554 | -8392 | 0.293 | 601 | 0 | 0
8/12/2026 | 1 | 90275 | 18022 | -17506 | 26650 | 7714 | -7493 | 0.296 | 596 | 5 | 0.008
8/12/2026 | 2 | 85955 | 17172 | -17000 | 25484 | 7350 | -7276 | 0.297 | 549 | 0 | 0
8/12/2026 | 3 | 83327 | 16668 | -16815 | 25020 | 7134 | -7197 | 0.3 | 352 | 0 | 0
8/12/2026 | 4 | 81237 | 16521 | -16465 | 24703 | 7071 | -7047 | 0.304 | 257 | 0 | 0
8/12/2026 | 5 | 81696 | 16211 | -16321 | 25061 | 6938 | -6986 | 0.307 | 126 | 0 | 0
8/12/2026 | 6 | 83887 | 16742 | -16968 | 25608 | 7166 | -7262 | 0.305 | 190 | 0 | 0
8/12/2026 | 7 | 86739 | 18523 | -18459 | 25692 | 7928 | -7900 | 0.296 | 537 | 5 | 0.009
8/12/2026 | 8 | 89951 | 17994 | -17972 | 25105 | 7702 | -7692 | 0.279 | 0 | 0 | 0
8/12/2026 | 9 | 92395 | 17610 | -17847 | 24405 | 7537 | -7638 | 0.264 | 159 | 0 | 0
8/12/2026 | 10 | 93999 | 16885 | -17194 | 23237 | 7227 | -7359 | 0.247 | 207 | 0 | 0
8/12/2026 | 11 | 97404 | 17011 | -17656 | 23575 | 7280 | -7557 | 0.241 | 182 | 0 | 0
8/12/2026 | 12 | 100449 | 17122 | -18099 | 23219 | 7328 | -7746 | 0.229 | 125 | 0 | 0
8/12/2026 | 13 | 105011 | 17729 | -18763 | 23817 | 7588 | -8031 | 0.225 | 0 | 0 | 0
8/12/2026 | 14 | 109491 | 18273 | -19481 | 23841 | 7821 | -8338 | 0.215 | 0 | 0 | 0
8/12/2026 | 15 | 112905 | 19436 | -20852 | 24196 | 8318 | -8925 | 0.212 | 0 | 0 | 0
8/12/2026 | 16 | 117222 | 20370 | -22074 | 24502 | 8718 | -9447 | 0.206 | 0 | 0 | 0
8/12/2026 | 17 | 119435 | 22598 | -24156 | 25172 | 9672 | -10338 | 0.208 | 0 | 0 | 0
8/12/2026 | 18 | 122002 | 23727 | -25370 | 26400 | 10155 | -10858 | 0.214 | 0 | 0 | 0
8/12/2026 | 19 | 119169 | 24756 | -26223 | 26335 | 10596 | -11223 | 0.218 | 539 | 0 | 0
8/12/2026 | 20 | 114287 | 24552 | -25631 | 26352 | 10508 | -10970 | 0.229 | 629 | 2 | 0.003
8/12/2026 | 21 | 111186 | 23978 | -24846 | 26304 | 10263 | -10634 | 0.235 | 755 | 30 | 0.04
8/12/2026 | 22 | 105672 | 23692 | -23939 | 26102 | 10140 | -10246 | 0.247 | 931 | 46 | 0.049
8/12/2026 | 23 | 98261 | 20054 | -20195 | 25702 | 8583 | -8644 | 0.261 | 470 | 0 | 0
8/12/2026 | 24 | 90731 | 18421 | -18036 | 25267 | 7884 | -7719 | 0.279 | 822 | 67 | 0.082
8/13/2026 | 1 | 85616 | 18210 | -17629 | 24787 | 7794 | -7545 | 0.29 | 657 | 0 | 0
8/13/2026 | 2 | 81814 | 17172 | -16718 | 24139 | 7350 | -7155 | 0.296 | 532 | 0 | 0
8/13/2026 | 3 | 79226 | 16878 | -16674 | 23926 | 7224 | -7137 | 0.302 | 673 | 57 | 0.085
8/13/2026 | 4 | 77717 | 16814 | -16473 | 23988 | 7196 | -7050 | 0.309 | 811 | 113 | 0.139
8/13/2026 | 5 | 77994 | 15818 | -15609 | 24383 | 6770 | -6681 | 0.313 | 905 | 129 | 0.143
8/13/2026 | 6 | 80688 | 15705 | -15527 | 24813 | 6722 | -6645 | 0.308 | 636 | 4 | 0.006
8/13/2026 | 7 | 84182 | 17814 | -17621 | 24867 | 7625 | -7541 | 0.296 | 692 | 0 | 0
8/13/2026 | 8 | 87356 | 17595 | -17484 | 23960 | 7531 | -7483 | 0.274 | 436 | 0 | 0
8/13/2026 | 9 | 90039 | 16764 | -16849 | 22766 | 7175 | -7212 | 0.253 | 306 | 0 | 0
8/13/2026 | 10 | 91726 | 16325 | -16591 | 22343 | 6987 | -7101 | 0.243 | 46 | 0 | 0
8/13/2026 | 11 | 93287 | 16828 | -17232 | 21715 | 7202 | -7376 | 0.232 | 6 | 0 | 0
8/13/2026 | 12 | 95247 | 17231 | -17615 | 21299 | 7375 | -7539 | 0.223 | 0 | 0 | 0
8/13/2026 | 13 | 97779 | 17503 | -18039 | 20816 | 7491 | -7721 | 0.212 | 0 | 0 | 0
8/13/2026 | 14 | 100978 | 17636 | -18401 | 21124 | 7548 | -7876 | 0.208 | 0 | 0 | 0
8/13/2026 | 15 | 104471 | 18628 | -19539 | 22134 | 7973 | -8363 | 0.21 | 0 | 0 | 0
8/13/2026 | 16 | 107805 | 19000 | -19972 | 22206 | 8132 | -8548 | 0.204 | 0 | 0 | 0
8/13/2026 | 17 | 110653 | 20987 | -21610 | 22522 | 8982 | -9249 | 0.202 | 0 | 0 | 0
8/13/2026 | 18 | 112370 | 21885 | -22165 | 23767 | 9367 | -9486 | 0.211 | 0 | 0 | 0
8/13/2026 | 19 | 109662 | 21997 | -22070 | 24623 | 9415 | -9446 | 0.224 | 867 | 0 | 0
8/13/2026 | 20 | 106397 | 21995 | -21874 | 24925 | 9414 | -9362 | 0.234 | 1053 | 2 | 0.002
8/13/2026 | 21 | 104338 | 21835 | -21628 | 25038 | 9346 | -9257 | 0.24 | 768 | 0 | 0
8/13/2026 | 22 | 100439 | 20670 | -20406 | 25167 | 8847 | -8734 | 0.251 | 802 | 2 | 0.002
8/13/2026 | 23 | 94490 | 18531 | -18356 | 25099 | 7931 | -7856 | 0.266 | 878 | 0 | 0
8/13/2026 | 24 | 88287 | 17571 | -17222 | 24979 | 7520 | -7371 | 0.283 | 818 | 4 | 0.005
8/14/2026 | 1 | 84573 | 15372 | -15274 | 24850 | 6579 | -6537 | 0.294 | 287 | 0 | 0
8/14/2026 | 2 | 80538 | 15449 | -15243 | 24505 | 6612 | -6524 | 0.305 | 545 | 0 | 0
8/14/2026 | 3 | 77648 | 15192 | -14939 | 24229 | 6502 | -6394 | 0.312 | 666 | 0 | 0
8/14/2026 | 4 | 76209 | 15034 | -14730 | 24275 | 6435 | -6305 | 0.319 | 660 | 0 | 0
8/14/2026 | 5 | 76703 | 14819 | -14556 | 24290 | 6343 | -6230 | 0.317 | 605 | 0 | 0
8/14/2026 | 6 | 79231 | 15154 | -15107 | 24269 | 6486 | -6466 | 0.306 | 556 | 0 | 0
8/14/2026 | 7 | 82968 | 17029 | -17029 | 24068 | 7288 | -7288 | 0.29 | 659 | 3 | 0.005
8/14/2026 | 8 | 85871 | 16899 | -16813 | 23183 | 7233 | -7196 | 0.27 | 471 | 8 | 0.017
8/14/2026 | 9 | 88394 | 16438 | -16468 | 21971 | 7035 | -7049 | 0.248 | 246 | 0 | 0
8/14/2026 | 10 | 89410 | 16056 | -16051 | 21139 | 6872 | -6870 | 0.236 | 81 | 0 | 0
8/14/2026 | 11 | 91584 | 16388 | -16432 | 20408 | 7014 | -7033 | 0.223 | 24 | 0 | 0
8/14/2026 | 12 | 93380 | 16692 | -17022 | 19937 | 7144 | -7285 | 0.213 | 0 | 0 | 0
8/14/2026 | 13 | 96057 | 16733 | -17398 | 20116 | 7162 | -7446 | 0.208 | 0 | 0 | 0
8/14/2026 | 14 | 99620 | 16755 | -17479 | 21178 | 7171 | -7481 | 0.211 | 0 | 0 | 0
8/14/2026 | 15 | 103242 | 18222 | -19052 | 21299 | 7799 | -8154 | 0.205 | 0 | 0 | 0
8/14/2026 | 16 | 106321 | 18271 | -19306 | 21558 | 7820 | -8263 | 0.201 | 0 | 0 | 0
8/14/2026 | 17 | 109093 | 20074 | -20913 | 21845 | 8592 | -8951 | 0.198 | 0 | 0 | 0
8/14/2026 | 18 | 111011 | 21116 | -22036 | 22928 | 9038 | -9432 | 0.205 | 19 | 2 | 0.105
8/14/2026 | 19 | 110004 | 20726 | -21723 | 24528 | 8871 | -9297 | 0.221 | 910 | 0 | 0
8/14/2026 | 20 | 106362 | 21751 | -22510 | 25309 | 9310 | -9634 | 0.237 | 963 | 6 | 0.006
8/14/2026 | 21 | 102745 | 21568 | -22251 | 24817 | 9231 | -9524 | 0.24 | 1119 | 17 | 0.015
8/14/2026 | 22 | 98989 | 20848 | -21275 | 24514 | 8923 | -9106 | 0.247 | 1186 | 74 | 0.062
8/14/2026 | 23 | 93723 | 17734 | -18158 | 24568 | 7590 | -7772 | 0.261 | 1029 | 1 | 0.001
8/14/2026 | 24 | 87127 | 16849 | -16794 | 24210 | 7212 | -7188 | 0.278 | 1029 | 93 | 0.09
8/15/2026 | 1 | 82648 | 16180 | -15976 | 24385 | 6925 | -6837 | 0.295 | 788 | 59 | 0.075
8/15/2026 | 2 | 78628 | 15992 | -15765 | 24048 | 6844 | -6748 | 0.306 | 944 | 154 | 0.163
8/15/2026 | 3 | 75317 | 15712 | -15573 | 23317 | 6724 | -6665 | 0.31 | 1250 | 257 | 0.206
8/15/2026 | 4 | 73678 | 15558 | -15365 | 23088 | 6659 | -6576 | 0.314 | 1628 | 396 | 0.243
8/15/2026 | 5 | 72972 | 15552 | -15334 | 22950 | 6656 | -6563 | 0.315 | 1342 | 287 | 0.214
8/15/2026 | 6 | 73851 | 15715 | -15532 | 22922 | 6726 | -6647 | 0.311 | 1444 | 303 | 0.21
8/15/2026 | 7 | 74295 | 17278 | -16718 | 22273 | 7395 | -7156 | 0.301 | 1768 | 405 | 0.229
8/15/2026 | 8 | 76665 | 16581 | -16277 | 18862 | 7096 | -6966 | 0.247 | 192 | 0 | 0
8/15/2026 | 9 | 79959 | 15886 | -15780 | 17846 | 6799 | -6754 | 0.223 | 189 | 0 | 0
8/15/2026 | 10 | 82295 | 15848 | -15974 | 17453 | 6783 | -6837 | 0.212 | 2 | 0 | 0
8/15/2026 | 11 | 84224 | 16335 | -16712 | 17553 | 6991 | -7153 | 0.207 | 0 | 0 | 0
8/15/2026 | 12 | 86511 | 16447 | -16894 | 17534 | 7039 | -7230 | 0.202 | 0 | 0 | 0
8/15/2026 | 13 | 89660 | 16941 | -17518 | 17693 | 7251 | -7498 | 0.196 | 0 | 0 | 0
8/15/2026 | 14 | 93152 | 17196 | -17542 | 18213 | 7359 | -7508 | 0.195 | 0 | 0 | 0
8/15/2026 | 15 | 97248 | 18536 | -18947 | 18859 | 7933 | -8110 | 0.193 | 0 | 0 | 0
8/15/2026 | 16 | 101859 | 19094 | -19504 | 19981 | 8172 | -8348 | 0.195 | 0 | 0 | 0
8/15/2026 | 17 | 105053 | 21136 | -21253 | 20894 | 9046 | -9096 | 0.199 | 0 | 0 | 0
8/15/2026 | 18 | 107836 | 21926 | -22161 | 22821 | 9384 | -9485 | 0.211 | 726 | 37 | 0.051
8/15/2026 | 19 | 107818 | 22615 | -23134 | 24396 | 9679 | -9901 | 0.225 | 1057 | 29 | 0.027
8/15/2026 | 20 | 104468 | 23066 | -23007 | 25239 | 9872 | -9847 | 0.242 | 554 | 9 | 0.016
8/15/2026 | 21 | 101058 | 23210 | -22715 | 25237 | 9934 | -9722 | 0.251 | 1063 | 70 | 0.066
8/15/2026 | 22 | 97051 | 22244 | -21809 | 24876 | 9520 | -9334 | 0.257 | 1624 | 363 | 0.224
8/15/2026 | 23 | 91083 | 19397 | -18715 | 24914 | 8302 | -8010 | 0.275 | 833 | 53 | 0.064
8/15/2026 | 24 | 85796 | 18366 | -17514 | 24656 | 7861 | -7496 | 0.289 | 1057 | 112 | 0.106
8/16/2026 | 1 | 81037 | 18007 | -16920 | 24244 | 7707 | -7241 | 0.301 | 1190 | 234 | 0.197
8/16/2026 | 2 | 77169 | 17910 | -16804 | 23235 | 7665 | -7192 | 0.303 | 1505 | 365 | 0.243
8/16/2026 | 3 | 74363 | 17810 | -16909 | 22426 | 7622 | -7237 | 0.303 | 1560 | 388 | 0.249
8/16/2026 | 4 | 72601 | 17709 | -17022 | 21876 | 7579 | -7285 | 0.303 | 1677 | 428 | 0.255
8/16/2026 | 5 | 71709 | 17698 | -16938 | 21416 | 7574 | -7249 | 0.3 | 1518 | 413 | 0.272
8/16/2026 | 6 | 71494 | 17366 | -16397 | 21389 | 7433 | -7018 | 0.301 | 1420 | 383 | 0.27
8/16/2026 | 7 | 72003 | 17512 | -16760 | 21075 | 7495 | -7173 | 0.294 | 2447 | 712 | 0.291
8/16/2026 | 8 | 73783 | 15727 | -15302 | 18185 | 6731 | -6549 | 0.248 | 411 | 87 | 0.212
8/16/2026 | 9 | 76839 | 15452 | -15167 | 16872 | 6613 | -6491 | 0.22 | 112 | 0 | 0
8/16/2026 | 10 | 78939 | 15917 | -15382 | 17194 | 6813 | -6584 | 0.219 | 0 | 0 | 0
8/16/2026 | 11 | 81875 | 15582 | -15044 | 17447 | 6669 | -6439 | 0.214 | 0 | 0 | 0
8/16/2026 | 12 | 85946 | 16590 | -16176 | 17926 | 7100 | -6923 | 0.21 | 0 | 0 | 0
8/16/2026 | 13 | 90693 | 16745 | -16442 | 18105 | 7167 | -7037 | 0.2 | 0 | 0 | 0
8/16/2026 | 14 | 96535 | 17598 | -17639 | 19139 | 7532 | -7549 | 0.198 | 0 | 0 | 0
8/16/2026 | 15 | 102111 | 18441 | -18608 | 20207 | 7893 | -7964 | 0.198 | 0 | 0 | 0
8/16/2026 | 16 | 108781 | 18406 | -19124 | 21810 | 7878 | -8185 | 0.199 | 0 | 0 | 0
8/16/2026 | 17 | 113171 | 19565 | -20507 | 23122 | 8374 | -8777 | 0.202 | 0 | 0 | 0
8/16/2026 | 18 | 116398 | 20384 | -20897 | 24468 | 8724 | -8944 | 0.209 | 26 | 0 | 0
8/16/2026 | 19 | 116824 | 21575 | -21745 | 26031 | 9234 | -9307 | 0.223 | 0 | 0 | 0
8/16/2026 | 20 | 113105 | 21397 | -21561 | 26722 | 9158 | -9228 | 0.236 | 0 | 0 | 0
8/16/2026 | 21 | 109190 | 20509 | -20757 | 26790 | 8778 | -8884 | 0.245 | 276 | 0 | 0
8/16/2026 | 22 | 104060 | 18808 | -19042 | 26825 | 8050 | -8150 | 0.257 | 616 | 7 | 0.011
8/16/2026 | 23 | 96750 | 17318 | -17422 | 26800 | 7412 | -7456 | 0.277 | 890 | 102 | 0.115
8/16/2026 | 24 | 89407 | 16586 | -16469 | 26477 | 7099 | -7049 | 0.296 | 756 | 50 | 0.066
8/17/2026 | 1 | 84364 | 17137 | -16659 | 25888 | 7335 | -7130 | 0.308 | 580 | 32 | 0.055
8/17/2026 | 2 | 80266 | 16621 | -16080 | 25345 | 7114 | -6882 | 0.317 | 772 | 120 | 0.155
8/17/2026 | 3 | 77176 | 16734 | -16183 | 25251 | 7162 | -6927 | 0.328 | 463 | 10 | 0.022
8/17/2026 | 4 | 75589 | 16497 | -16003 | 24989 | 7060 | -6850 | 0.331 | 533 | 10 | 0.019
8/17/2026 | 5 | 75800 | 16692 | -16051 | 24849 | 7144 | -6870 | 0.329 | 530 | 10 | 0.019
8/17/2026 | 6 | 78232 | 15964 | -15304 | 24709 | 6833 | -6550 | 0.317 | 595 | 6 | 0.01
8/17/2026 | 7 | 81537 | 20181 | -19310 | 23978 | 8637 | -8265 | 0.295 | 1052 | 220 | 0.209
8/17/2026 | 8 | 85550 | 18743 | -18036 | 22265 | 8022 | -7719 | 0.262 | 794 | 136 | 0.171
8/17/2026 | 9 | 89296 | 18250 | -17789 | 22213 | 7811 | -7614 | 0.25 | 238 | 0 | 0
8/17/2026 | 10 | 92248 | 18104 | -17792 | 22512 | 7749 | -7615 | 0.245 | 70 | 0 | 0
8/17/2026 | 11 | 95690 | 18600 | -18568 | 22784 | 7960 | -7947 | 0.238 | 26 | 0 | 0
8/17/2026 | 12 | 99638 | 18875 | -18563 | 23312 | 8078 | -7945 | 0.235 | 0 | 0 | 0
8/17/2026 | 13 | 104877 | 19377 | -19254 | 23727 | 8293 | -8241 | 0.226 | 0 | 0 | 0
8/17/2026 | 14 | 111164 | 20071 | -20364 | 24473 | 8591 | -8716 | 0.22 | 0 | 0 | 0
8/17/2026 | 15 | 116546 | 21081 | -21955 | 25409 | 9023 | -9397 | 0.216 | 0 | 0 | 0
8/17/2026 | 16 | 121865 | 21881 | -22986 | 26436 | 9365 | -9838 | 0.215 | 0 | 0 | 0
8/17/2026 | 17 | 125753 | 24169 | -25302 | 27209 | 10344 | -10829 | 0.214 | 0 | 0 | 0
8/17/2026 | 18 | 128344 | 27204 | -28267 | 28442 | 11643 | -12099 | 0.22 | 0 | 0 | 0
8/17/2026 | 19 | 127944 | 28118 | -29225 | 29315 | 12034 | -12508 | 0.227 | 555 | 0 | 0
8/17/2026 | 20 | 122808 | 27457 | -28430 | 29485 | 11751 | -12168 | 0.239 | 311 | 0 | 0
8/17/2026 | 21 | 117679 | 26624 | -27364 | 29061 | 11395 | -11712 | 0.246 | 367 | 0 | 0
8/17/2026 | 22 | 110896 | 25205 | -25314 | 28741 | 10788 | -10835 | 0.259 | 714 | 0 | 0
8/17/2026 | 23 | 101956 | 19709 | -19441 | 28294 | 8436 | -8321 | 0.278 | 124 | 0 | 0
8/17/2026 | 24 | 93979 | 18362 | -17956 | 27637 | 7859 | -7685 | 0.295 | 182 | 12 | 0.066
8/18/2026 | 1 | 88648 | 16475 | -16189 | 26819 | 7051 | -6929 | 0.303 | 221 | 10 | 0.045
8/18/2026 | 2 | 84210 | 15995 | -15610 | 25798 | 6846 | -6681 | 0.307 | 363 | 0 | 0
8/18/2026 | 3 | 80980 | 15981 | -15634 | 25262 | 6840 | -6691 | 0.312 | 44 | 0 | 0
8/18/2026 | 4 | 78928 | 15943 | -15599 | 24686 | 6824 | -6676 | 0.313 | 332 | 0 | 0
8/18/2026 | 5 | 78959 | 15528 | -15260 | 24460 | 6646 | -6531 | 0.31 | 378 | 0 | 0
8/18/2026 | 6 | 81462 | 15530 | -15280 | 24361 | 6647 | -6540 | 0.299 | 419 | 0 | 0
8/18/2026 | 7 | 84425 | 19218 | -18683 | 23851 | 8225 | -7996 | 0.283 | 706 | 112 | 0.159
8/18/2026 | 8 | 87818 | 18161 | -17772 | 21901 | 7773 | -7607 | 0.25 | 187 | 6 | 0.032
8/18/2026 | 9 | 91518 | 18165 | -17860 | 21139 | 7774 | -7644 | 0.232 | 10 | 0 | 0
8/18/2026 | 10 | 94331 | 17688 | -17469 | 20972 | 7570 | -7477 | 0.223 | 0 | 0 | 0
8/18/2026 | 11 | 97765 | 17608 | -17673 | 21626 | 7536 | -7564 | 0.221 | 36 | 0 | 0
8/18/2026 | 12 | 102382 | 17662 | -18231 | 22237 | 7559 | -7803 | 0.216 | 0 | 0 | 0
8/18/2026 | 13 | 107451 | 18340 | -18820 | 22983 | 7850 | -8055 | 0.213 | 0 | 0 | 0
8/18/2026 | 14 | 113849 | 19181 | -20194 | 24029 | 8209 | -8643 | 0.209 | 0 | 0 | 0
8/18/2026 | 15 | 120173 | 20587 | -21656 | 25620 | 8811 | -9269 | 0.211 | 0 | 0 | 0
8/18/2026 | 16 | 125671 | 22565 | -23853 | 26592 | 9658 | -10209 | 0.209 | 0 | 0 | 0
8/18/2026 | 17 | 129539 | 25586 | -27051 | 27481 | 10951 | -11578 | 0.21 | 0 | 0 | 0
8/18/2026 | 18 | 132818 | 26193 | -27669 | 28390 | 11211 | -11842 | 0.211 | 40 | 2 | 0.05
8/18/2026 | 19 | 132336 | 27835 | -28969 | 29363 | 11913 | -12399 | 0.22 | 262 | 5 | 0.019
8/18/2026 | 20 | 127078 | 27127 | -28186 | 29815 | 11610 | -12064 | 0.233 | 254 | 6 | 0.024
8/18/2026 | 21 | 120858 | 25763 | -26336 | 29155 | 11026 | -11272 | 0.24 | 430 | 0 | 0
8/18/2026 | 22 | 113972 | 24992 | -25273 | 28732 | 10697 | -10817 | 0.252 | 1026 | 3 | 0.003
8/18/2026 | 23 | 104843 | 20124 | -20364 | 28474 | 8613 | -8716 | 0.271 | 513 | 0 | 0
8/18/2026 | 24 | 96944 | 19196 | -18913 | 27836 | 8216 | -8095 | 0.288 | 681 | 11 | 0.016
8/19/2026 | 1 | 91722 | 18511 | -18526 | 26532 | 7923 | -7929 | 0.289 | 581 | 35 | 0.06
8/19/2026 | 2 | 86866 | 18043 | -18248 | 25827 | 7723 | -7810 | 0.297 | 378 | 0 | 0
8/19/2026 | 3 | 83485 | 17943 | -18348 | 25223 | 7679 | -7853 | 0.302 | 450 | 0 | 0
8/19/2026 | 4 | 81430 | 17227 | -17548 | 24863 | 7373 | -7510 | 0.305 | 498 | 7 | 0.014
8/19/2026 | 5 | 81519 | 17533 | -17822 | 24858 | 7504 | -7628 | 0.304 | 470 | 17 | 0.036
8/19/2026 | 6 | 83677 | 17680 | -17848 | 24709 | 7567 | -7639 | 0.295 | 950 | 174 | 0.183
8/19/2026 | 7 | 87155 | 20630 | -20582 | 24511 | 8830 | -8809 | 0.281 | 1146 | 248 | 0.216
8/19/2026 | 8 | 90462 | 19541 | -19383 | 22706 | 8364 | -8296 | 0.251 | 932 | 209 | 0.224
8/19/2026 | 9 | 93242 | 18672 | -18648 | 21978 | 7992 | -7981 | 0.236 | 238 | 0 | 0
8/19/2026 | 10 | 96342 | 18605 | -18785 | 22498 | 7963 | -8040 | 0.233 | 112 | 5 | 0.045
8/19/2026 | 11 | 100246 | 18245 | -18712 | 23476 | 7809 | -8009 | 0.233 | 71 | 7 | 0.099
8/19/2026 | 12 | 104398 | 18867 | -19729 | 24536 | 8075 | -8444 | 0.233 | 0 | 0 | 0
8/19/2026 | 13 | 109931 | 19352 | -20546 | 25555 | 8282 | -8794 | 0.23 | 0 | 0 | 0
8/19/2026 | 14 | 116304 | 19747 | -21275 | 26317 | 8452 | -9106 | 0.224 | 0 | 0 | 0
8/19/2026 | 15 | 122266 | 21517 | -23459 | 27144 | 9210 | -10041 | 0.219 | 0 | 0 | 0
8/19/2026 | 16 | 128284 | 22487 | -24857 | 28149 | 9625 | -10639 | 0.216 | 0 | 0 | 0
8/19/2026 | 17 | 133264 | 26250 | -28585 | 29059 | 11235 | -12235 | 0.214 | 0 | 0 | 0
8/19/2026 | 18 | 135632 | 27565 | -29949 | 29842 | 11798 | -12818 | 0.216 | 281 | 0 | 0
8/19/2026 | 19 | 134542 | 28487 | -30636 | 31225 | 12192 | -13112 | 0.229 | 796 | 0 | 0
8/19/2026 | 20 | 128445 | 27775 | -29057 | 31952 | 11888 | -12436 | 0.247 | 1023 | 16 | 0.016
8/19/2026 | 21 | 122468 | 25603 | -26378 | 31486 | 10958 | -11290 | 0.256 | 782 | 0 | 0
8/19/2026 | 22 | 116254 | 24243 | -24955 | 31167 | 10376 | -10681 | 0.267 | 1120 | 116 | 0.104
8/19/2026 | 23 | 106122 | 19364 | -19605 | 30555 | 8288 | -8391 | 0.288 | 879 | 50 | 0.057
8/19/2026 | 24 | 97298 | 18153 | -18258 | 29907 | 7769 | -7814 | 0.307 | 894 | 72 | 0.081
8/20/2026 | 1 | 91269 | 17552 | -17550 | 29194 | 7512 | -7512 | 0.32 | 739 | 95 | 0.129
8/20/2026 | 2 | 85734 | 16800 | -16394 | 28752 | 7190 | -7016 | 0.336 | 709 | 114 | 0.161
8/20/2026 | 3 | 82366 | 16409 | -16313 | 28125 | 7023 | -6982 | 0.342 | 492 | 32 | 0.065
8/20/2026 | 4 | 80019 | 16698 | -16267 | 27584 | 7147 | -6962 | 0.345 | 416 | 31 | 0.075
8/20/2026 | 5 | 79538 | 16675 | -16227 | 27537 | 7137 | -6945 | 0.347 | 332 | 6 | 0.018
8/20/2026 | 6 | 82124 | 17537 | -16959 | 27022 | 7506 | -7258 | 0.33 | 579 | 77 | 0.133
8/20/2026 | 7 | 85539 | 19512 | -18914 | 26474 | 8352 | -8095 | 0.31 | 1328 | 384 | 0.289
8/20/2026 | 8 | 89044 | 18410 | -17937 | 25023 | 7879 | -7677 | 0.282 | 1094 | 222 | 0.203
8/20/2026 | 9 | 92710 | 17988 | -17870 | 24934 | 7699 | -7648 | 0.269 | 515 | 62 | 0.12
8/20/2026 | 10 | 96099 | 18351 | -18527 | 25091 | 7854 | -7929 | 0.261 | 242 | 6 | 0.025
8/20/2026 | 11 | 99473 | 18550 | -18786 | 25673 | 7940 | -8040 | 0.258 | 337 | 33 | 0.098
8/20/2026 | 12 | 104146 | 19127 | -19695 | 26343 | 8186 | -8429 | 0.252 | 0 | 0 | 0
8/20/2026 | 13 | 109915 | 19852 | -20530 | 26646 | 8496 | -8787 | 0.241 | 0 | 0 | 0
8/20/2026 | 14 | 116278 | 20497 | -21349 | 27144 | 8772 | -9137 | 0.232 | 0 | 0 | 0
8/20/2026 | 15 | 122587 | 21884 | -23257 | 28445 | 9366 | -9954 | 0.23 | 117 | 0 | 0
8/20/2026 | 16 | 128475 | 22750 | -24512 | 29695 | 9737 | -10491 | 0.228 | 364 | 0 | 0
8/20/2026 | 17 | 131766 | 26815 | -28477 | 30462 | 11477 | -12188 | 0.229 | 591 | 0 | 0
8/20/2026 | 18 | 133805 | 28990 | -30657 | 31399 | 12408 | -13121 | 0.232 | 878 | 4 | 0.005
8/20/2026 | 19 | 132248 | 30107 | -31805 | 32227 | 12886 | -13612 | 0.241 | 530 | 0 | 0
8/20/2026 | 20 | 126984 | 29082 | -30002 | 32796 | 12447 | -12841 | 0.257 | 887 | 26 | 0.029
8/20/2026 | 21 | 121787 | 28518 | -28525 | 32180 | 12206 | -12209 | 0.264 | 1580 | 285 | 0.18
8/20/2026 | 22 | 116207 | 26521 | -26244 | 31753 | 11351 | -11233 | 0.274 | 1788 | 317 | 0.177
8/20/2026 | 23 | 107045 | 19039 | -18523 | 31509 | 8149 | -7928 | 0.295 | 630 | 12 | 0.019
8/20/2026 | 24 | 98991 | 18333 | -17439 | 30959 | 7846 | -7464 | 0.314 | 435 | 72 | 0.166
8/21/2026 | 1 | 93563 | 17414 | -16629 | 30630 | 7454 | -7117 | 0.328 | 404 | 85 | 0.21
8/21/2026 | 2 | 88136 | 17483 | -16392 | 29512 | 7483 | -7016 | 0.336 | 125 | 31 | 0.248
8/21/2026 | 3 | 84227 | 17176 | -16036 | 28744 | 7351 | -6863 | 0.342 | 0 | 0 | 0
8/21/2026 | 4 | 82415 | 16779 | -16186 | 28490 | 7182 | -6928 | 0.346 | 101 | 16 | 0.158
8/21/2026 | 5 | 82188 | 16093 | -15632 | 28566 | 6888 | -6691 | 0.348 | 252 | 31 | 0.123
8/21/2026 | 6 | 84428 | 16268 | -15818 | 28870 | 6963 | -6770 | 0.342 | 221 | 23 | 0.104
8/21/2026 | 7 | 87786 | 19472 | -19021 | 29267 | 8334 | -8141 | 0.334 | 1275 | 328 | 0.257
8/21/2026 | 8 | 90854 | 19504 | -18636 | 28067 | 8348 | -7976 | 0.31 | 528 | 101 | 0.191
8/21/2026 | 9 | 95093 | 19352 | -18567 | 27335 | 8283 | -7947 | 0.289 | 46 | 0 | 0
8/21/2026 | 10 | 98545 | 18929 | -18150 | 27210 | 8102 | -7768 | 0.277 | 5 | 0 | 0
8/21/2026 | 11 | 102598 | 19567 | -19084 | 27537 | 8375 | -8168 | 0.269 | 71 | 0 | 0
8/21/2026 | 12 | 107926 | 21467 | -21219 | 28043 | 9188 | -9082 | 0.26 | 0 | 0 | 0
8/21/2026 | 13 | 113400 | 22997 | -23054 | 28144 | 9843 | -9867 | 0.248 | 0 | 0 | 0
8/21/2026 | 14 | 120231 | 24676 | -25872 | 28544 | 10562 | -11073 | 0.236 | 0 | 0 | 0
8/21/2026 | 15 | 125322 | 25564 | -27362 | 29845 | 10941 | -11711 | 0.235 | 0 | 0 | 0
8/21/2026 | 16 | 128998 | 26718 | -28702 | 30338 | 11435 | -12284 | 0.232 | 51 | 0 | 0
8/21/2026 | 17 | 131179 | 30381 | -32343 | 30656 | 13003 | -13843 | 0.231 | 160 | 0 | 0
8/21/2026 | 18 | 131200 | 30938 | -32599 | 31217 | 13241 | -13952 | 0.235 | 1202 | 70 | 0.058
8/21/2026 | 19 | 129108 | 31245 | -32694 | 32363 | 13373 | -13993 | 0.249 | 1797 | 343 | 0.191
8/21/2026 | 20 | 123429 | 29841 | -30758 | 32476 | 12772 | -13164 | 0.262 | 1626 | 331 | 0.204
8/21/2026 | 21 | 119219 | 28107 | -28681 | 31557 | 12030 | -12276 | 0.264 | 1298 | 92 | 0.071
8/21/2026 | 22 | 113300 | 28045 | -28201 | 30808 | 12003 | -12070 | 0.272 | 1042 | 171 | 0.164
8/21/2026 | 23 | 106129 | 21902 | -21639 | 30106 | 9374 | -9261 | 0.284 | 385 | 0 | 0
8/21/2026 | 24 | 99182 | 20666 | -20130 | 29952 | 8845 | -8616 | 0.303 | 597 | 4 | 0.007
8/22/2026 | 1 | 93781 | 19492 | -19215 | 29838 | 8343 | -8224 | 0.318 | 569 | 1 | 0.002
8/22/2026 | 2 | 88367 | 19113 | -18666 | 28933 | 8180 | -7989 | 0.328 | 241 | 0 | 0
8/22/2026 | 3 | 84098 | 18904 | -18194 | 28344 | 8091 | -7786 | 0.338 | 370 | 0 | 0
8/22/2026 | 4 | 81250 | 18350 | -17423 | 27893 | 7854 | -7457 | 0.344 | 609 | 69 | 0.113
8/22/2026 | 5 | 79573 | 18623 | -17516 | 27467 | 7971 | -7497 | 0.346 | 450 | 7 | 0.016
8/22/2026 | 6 | 79258 | 19118 | -18045 | 27151 | 8183 | -7723 | 0.344 | 427 | 54 | 0.126
8/22/2026 | 7 | 79473 | 20172 | -18972 | 25818 | 8634 | -8120 | 0.326 | 701 | 158 | 0.225
8/22/2026 | 8 | 82010 | 17608 | -16924 | 22742 | 7536 | -7243 | 0.279 | 206 | 4 | 0.019
8/22/2026 | 9 | 85844 | 17308 | -16686 | 21833 | 7408 | -7142 | 0.256 | 33 | 0 | 0
8/22/2026 | 10 | 89557 | 17125 | -16880 | 21935 | 7330 | -7224 | 0.245 | 0 | 0 | 0
8/22/2026 | 11 | 94025 | 17590 | -17432 | 22275 | 7528 | -7461 | 0.237 | 0 | 0 | 0
8/22/2026 | 12 | 99308 | 17778 | -18176 | 23269 | 7609 | -7779 | 0.234 | 0 | 0 | 0
8/22/2026 | 13 | 104781 | 18837 | -19576 | 23505 | 8062 | -8378 | 0.223 | 0 | 0 | 0
8/22/2026 | 14 | 110135 | 19339 | -20388 | 24344 | 8277 | -8726 | 0.219 | 0 | 0 | 0
8/22/2026 | 15 | 114852 | 19511 | -20752 | 25108 | 8350 | -8882 | 0.216 | 0 | 0 | 0
8/22/2026 | 16 | 119030 | 21450 | -22672 | 25397 | 9181 | -9703 | 0.211 | 294 | 0 | 0
8/22/2026 | 17 | 122559 | 25798 | -26722 | 26985 | 11042 | -11437 | 0.219 | 726 | 19 | 0.026
8/22/2026 | 18 | 125543 | 27986 | -29085 | 27974 | 11978 | -12448 | 0.221 | 889 | 49 | 0.055
8/22/2026 | 19 | 124061 | 27191 | -28258 | 29254 | 11638 | -12094 | 0.234 | 892 | 32 | 0.036
8/22/2026 | 20 | 118916 | 27160 | -28013 | 29518 | 11625 | -11990 | 0.247 | 926 | 10 | 0.011
8/22/2026 | 21 | 113858 | 26597 | -27001 | 28714 | 11383 | -11556 | 0.252 | 1495 | 219 | 0.146
8/22/2026 | 22 | 109068 | 25507 | -25950 | 27899 | 10917 | -11107 | 0.255 | 1612 | 238 | 0.148
8/22/2026 | 23 | 102742 | 20831 | -20935 | 27635 | 8916 | -8960 | 0.269 | 975 | 36 | 0.037
8/22/2026 | 24 | 96286 | 19591 | -19459 | 27179 | 8385 | -8328 | 0.282 | 789 | 29 | 0.037
8/23/2026 | 1 | 91632 | 19040 | -19189 | 26880 | 8149 | -8212 | 0.293 | 628 | 26 | 0.041
8/23/2026 | 2 | 86727 | 19784 | -19528 | 26300 | 8468 | -8358 | 0.304 | 599 | 56 | 0.093
8/23/2026 | 3 | 82482 | 19830 | -19356 | 25608 | 8487 | -8285 | 0.311 | 1380 | 300 | 0.217
8/23/2026 | 4 | 79635 | 19487 | -18990 | 24559 | 8340 | -8128 | 0.309 | 1694 | 527 | 0.311
8/23/2026 | 5 | 78176 | 19481 | -18904 | 23841 | 8338 | -8091 | 0.306 | 1693 | 561 | 0.331
8/23/2026 | 6 | 77484 | 19665 | -19101 | 23290 | 8417 | -8175 | 0.302 | 1249 | 403 | 0.323
8/23/2026 | 7 | 77165 | 19521 | -18939 | 22612 | 8355 | -8106 | 0.294 | 2483 | 825 | 0.332
8/23/2026 | 8 | 78897 | 18286 | -17945 | 19142 | 7826 | -7681 | 0.243 | 939 | 280 | 0.298
8/23/2026 | 9 | 82646 | 17854 | -17710 | 18144 | 7641 | -7580 | 0.22 | 146 | 3 | 0.021
8/23/2026 | 10 | 86849 | 17211 | -17127 | 18030 | 7366 | -7330 | 0.208 | 0 | 0 | 0
8/23/2026 | 11 | 91654 | 17094 | -17182 | 18664 | 7316 | -7354 | 0.203 | 0 | 0 | 0
8/23/2026 | 12 | 97684 | 17681 | -18022 | 19960 | 7568 | -7714 | 0.204 | 0 | 0 | 0
8/23/2026 | 13 | 103468 | 17999 | -18294 | 20825 | 7703 | -7830 | 0.201 | 0 | 0 | 0
8/23/2026 | 14 | 109276 | 18364 | -18937 | 22076 | 7860 | -8105 | 0.201 | 8 | 0 | 0
8/23/2026 | 15 | 114655 | 19493 | -20339 | 24018 | 8343 | -8705 | 0.208 | 302 | 0 | 0
8/23/2026 | 16 | 119536 | 20613 | -21831 | 26222 | 8822 | -9344 | 0.217 | 552 | 32 | 0.058
8/23/2026 | 17 | 124100 | 22295 | -23505 | 27865 | 9542 | -10060 | 0.223 | 919 | 44 | 0.048
8/23/2026 | 18 | 127372 | 24831 | -25782 | 29444 | 10627 | -11035 | 0.23 | 1144 | 65 | 0.057
8/23/2026 | 19 | 126711 | 24140 | -25094 | 30857 | 10332 | -10740 | 0.242 | 1196 | 116 | 0.097
8/23/2026 | 20 | 120835 | 23709 | -23952 | 31392 | 10148 | -10252 | 0.259 | 971 | 68 | 0.07
8/23/2026 | 21 | 115269 | 23155 | -22950 | 30875 | 9910 | -9822 | 0.268 | 1633 | 229 | 0.14
8/23/2026 | 22 | 108810 | 22180 | -21392 | 30695 | 9493 | -9156 | 0.283 | 2257 | 597 | 0.265
8/23/2026 | 23 | 100307 | 20460 | -19549 | 30515 | 8757 | -8367 | 0.305 | 2277 | 693 | 0.304
8/23/2026 | 24 | 93039 | 19998 | -18856 | 29289 | 8559 | -8071 | 0.316 | 2386 | 728 | 0.305
8/24/2026 | 1 | 87897 | 19027 | -17922 | 27346 | 8143 | -7670 | 0.313 | 967 | 210 | 0.217
8/24/2026 | 2 | 83493 | 18529 | -17393 | 27809 | 7930 | -7444 | 0.334 | 1345 | 390 | 0.29
8/24/2026 | 3 | 80407 | 18345 | -17247 | 27440 | 7852 | -7382 | 0.342 | 1514 | 420 | 0.277
8/24/2026 | 4 | 78539 | 18471 | -17312 | 27152 | 7906 | -7410 | 0.347 | 1907 | 666 | 0.349
8/24/2026 | 5 | 78928 | 18681 | -17608 | 26966 | 7995 | -7536 | 0.343 | 2122 | 727 | 0.343
8/24/2026 | 6 | 82129 | 19135 | -18402 | 27309 | 8190 | -7876 | 0.333 | 1561 | 469 | 0.3
8/24/2026 | 7 | 86447 | 19365 | -18842 | 27021 | 8288 | -8065 | 0.313 | 1790 | 519 | 0.29
8/24/2026 | 8 | 90346 | 19372 | -19355 | 26488 | 8291 | -8284 | 0.293 | 1409 | 383 | 0.272
8/24/2026 | 9 | 93158 | 18786 | -18966 | 25889 | 8040 | -8117 | 0.278 | 730 | 160 | 0.219
8/24/2026 | 10 | 95854 | 17908 | -18307 | 25544 | 7665 | -7836 | 0.266 | 247 | 37 | 0.15
8/24/2026 | 11 | 99393 | 18512 | -19318 | 24953 | 7923 | -8268 | 0.25 | 320 | 45 | 0.141
8/24/2026 | 12 | 104651 | 20095 | -21253 | 25641 | 8601 | -9096 | 0.243 | 167 | 19 | 0.114
8/24/2026 | 13 | 110769 | 20377 | -21771 | 25887 | 8722 | -9318 | 0.231 | 82 | 12 | 0.146
8/24/2026 | 14 | 117092 | 21332 | -22843 | 27173 | 9130 | -9777 | 0.23 | 0 | 0 | 0
8/24/2026 | 15 | 123141 | 22450 | -24236 | 28637 | 9608 | -10373 | 0.23 | 0 | 0 | 0
8/24/2026 | 16 | 128729 | 22746 | -24411 | 29831 | 9735 | -10448 | 0.229 | 36 | 2 | 0.056
8/24/2026 | 17 | 132385 | 25956 | -27266 | 30556 | 11109 | -11670 | 0.229 | 324 | 0 | 0
8/24/2026 | 18 | 133670 | 27024 | -27998 | 31520 | 11566 | -11983 | 0.234 | 912 | 3 | 0.003
8/24/2026 | 19 | 132706 | 27266 | -27944 | 32526 | 11670 | -11960 | 0.244 | 1366 | 198 | 0.145
8/24/2026 | 20 | 127936 | 26726 | -27070 | 33097 | 11439 | -11586 | 0.258 | 1883 | 569 | 0.302
8/24/2026 | 21 | 121910 | 25359 | -25425 | 32746 | 10853 | -10882 | 0.269 | 1836 | 502 | 0.273
8/24/2026 | 22 | 114871 | 23838 | -23673 | 32800 | 10203 | -10132 | 0.286 | 1477 | 282 | 0.191
8/24/2026 | 23 | 106330 | 19959 | -19907 | 32018 | 8542 | -8520 | 0.301 | 325 | 0 | 0
8/24/2026 | 24 | 98460 | 18912 | -18643 | 31305 | 8094 | -7979 | 0.318 | 564 | 14 | 0.025
8/25/2026 | 1 | 92483 | 17827 | -17483 | 30644 | 7630 | -7482 | 0.332 | 437 | 0 | 0
8/25/2026 | 2 | 87433 | 17469 | -16942 | 29512 | 7477 | -7251 | 0.338 | 660 | 58 | 0.088
8/25/2026 | 3 | 83760 | 17130 | -16627 | 28698 | 7332 | -7116 | 0.343 | 527 | 38 | 0.072
8/25/2026 | 4 | 81608 | 17361 | -16752 | 28086 | 7431 | -7170 | 0.345 | 992 | 175 | 0.176
8/25/2026 | 5 | 81570 | 17061 | -16469 | 28015 | 7302 | -7049 | 0.344 | 918 | 136 | 0.148
8/25/2026 | 6 | 84110 | 17169 | -16832 | 28455 | 7348 | -7204 | 0.339 | 642 | 53 | 0.083
8/25/2026 | 7 | 87438 | 19522 | -18770 | 28377 | 8355 | -8034 | 0.325 | 1604 | 419 | 0.261
8/25/2026 | 8 | 91401 | 19104 | -18850 | 27253 | 8177 | -8068 | 0.299 | 650 | 70 | 0.108
8/25/2026 | 9 | 94602 | 19575 | -19282 | 26334 | 8378 | -8253 | 0.279 | 276 | 17 | 0.062
8/25/2026 | 10 | 97922 | 18965 | -19057 | 26388 | 8117 | -8156 | 0.269 | 173 | 1 | 0.006
8/25/2026 | 11 | 102557 | 19047 | -19552 | 26491 | 8152 | -8368 | 0.257 | 181 | 4 | 0.022
8/25/2026 | 12 | 108310 | 19526 | -20214 | 27161 | 8357 | -8652 | 0.25 | 35 | 0 | 0
8/25/2026 | 13 | 114730 | 20073 | -20929 | 28221 | 8591 | -8958 | 0.245 | 0 | 0 | 0
8/25/2026 | 14 | 121917 | 20869 | -22081 | 29318 | 8932 | -9450 | 0.239 | 0 | 0 | 0
8/25/2026 | 15 | 127435 | 22335 | -23744 | 30744 | 9560 | -10162 | 0.239 | 0 | 0 | 0
8/25/2026 | 16 | 132509 | 23808 | -24929 | 32065 | 10190 | -10669 | 0.24 | 0 | 0 | 0
8/25/2026 | 17 | 136253 | 28223 | -29050 | 32904 | 12080 | -12433 | 0.24 | 4 | 0 | 0
8/25/2026 | 18 | 138277 | 30090 | -30794 | 33638 | 12878 | -13180 | 0.242 | 317 | 0 | 0
8/25/2026 | 19 | 136098 | 29646 | -30385 | 34596 | 12689 | -13005 | 0.253 | 897 | 74 | 0.082
8/25/2026 | 20 | 130259 | 30093 | -30622 | 34691 | 12880 | -13106 | 0.266 | 1059 | 190 | 0.179
8/25/2026 | 21 | 125092 | 29320 | -29692 | 34180 | 12549 | -12708 | 0.273 | 1417 | 281 | 0.198
8/25/2026 | 22 | 116952 | 28023 | -27873 | 33517 | 11994 | -11930 | 0.287 | 1414 | 211 | 0.149
8/25/2026 | 23 | 107556 | 22188 | -21698 | 32625 | 9497 | -9287 | 0.304 | 38 | 0 | 0
8/25/2026 | 24 | 98915 | 21079 | -20447 | 31431 | 9022 | -8751 | 0.318 | 144 | 0 | 0
8/26/2026 | 1 | 94421 | 19441 | -19725 | 32057 | 8321 | -8442 | 0.339 | 0 | 0 | 0
8/26/2026 | 2 | 89663 | 19140 | -19212 | 31178 | 8192 | -8223 | 0.348 | 20 | 2 | 0.1
8/26/2026 | 3 | 85733 | 19144 | -18960 | 30458 | 8194 | -8114 | 0.355 | 387 | 45 | 0.116
8/26/2026 | 4 | 83434 | 19219 | -18868 | 30171 | 8226 | -8076 | 0.362 | 428 | 57 | 0.133
8/26/2026 | 5 | 82562 | 18960 | -18280 | 30312 | 8115 | -7824 | 0.368 | 370 | 56 | 0.151
8/26/2026 | 6 | 85054 | 18937 | -17960 | 30740 | 8105 | -7687 | 0.362 | 601 | 74 | 0.123
8/26/2026 | 7 | 88531 | 20887 | -20185 | 30603 | 8940 | -8639 | 0.346 | 843 | 219 | 0.26
8/26/2026 | 8 | 91941 | 20377 | -19800 | 28923 | 8721 | -8474 | 0.315 | 730 | 222 | 0.304
8/26/2026 | 9 | 95285 | 20346 | -20274 | 28025 | 8708 | -8678 | 0.294 | 24 | 8 | 0.333
8/26/2026 | 10 | 98876 | 19657 | -19328 | 28173 | 8413 | -8273 | 0.285 | 181 | 92 | 0.508
8/26/2026 | 11 | 103598 | 19900 | -19793 | 28480 | 8517 | -8471 | 0.275 | 12 | 8 | 0.667
8/26/2026 | 12 | 109049 | 21391 | -21566 | 29534 | 9156 | -9230 | 0.271 | 0 | 0 | 0
8/26/2026 | 13 | 115779 | 22472 | -22935 | 30376 | 9618 | -9816 | 0.262 | 0 | 0 | 0
8/26/2026 | 14 | 122891 | 23342 | -24285 | 31873 | 9990 | -10394 | 0.258 | 0 | 0 | 0
8/26/2026 | 15 | 128784 | 24223 | -25185 | 33737 | 10368 | -10779 | 0.261 | 0 | 0 | 0
8/26/2026 | 16 | 133351 | 25391 | -26341 | 34651 | 10867 | -11274 | 0.259 | 0 | 0 | 0
8/26/2026 | 17 | 136522 | 28096 | -28901 | 34628 | 12025 | -12370 | 0.253 | 163 | 5 | 0.031
8/26/2026 | 18 | 138048 | 30038 | -30704 | 35058 | 12856 | -13141 | 0.253 | 471 | 17 | 0.036
8/26/2026 | 19 | 135828 | 29824 | -30443 | 35905 | 12764 | -13030 | 0.264 | 10 | 0 | 0
8/26/2026 | 20 | 131337 | 29423 | -29946 | 36755 | 12593 | -12817 | 0.279 | 1160 | 214 | 0.184
8/26/2026 | 21 | 126246 | 28787 | -28716 | 36519 | 12321 | -12290 | 0.289 | 2250 | 694 | 0.308
8/26/2026 | 22 | 120344 | 27619 | -27494 | 36788 | 11821 | -11767 | 0.306 | 2886 | 1079 | 0.374
8/26/2026 | 23 | 111520 | 23250 | -22889 | 36270 | 9951 | -9796 | 0.326 | 2105 | 745 | 0.354
8/26/2026 | 24 | 102369 | 22342 | -21728 | 35306 | 9562 | -9299 | 0.345 | 2021 | 650 | 0.322
8/27/2026 | 1 | 95960 | 20913 | -20299 | 34135 | 8950 | -8688 | 0.356 | 1025 | 323 | 0.315
8/27/2026 | 2 | 90962 | 21962 | -20988 | 33146 | 9400 | -8983 | 0.365 | 538 | 80 | 0.149
8/27/2026 | 3 | 87203 | 20084 | -19378 | 32214 | 8596 | -8293 | 0.37 | 508 | 59 | 0.116
8/27/2026 | 4 | 84499 | 19763 | -19030 | 31699 | 8458 | -8144 | 0.376 | 836 | 181 | 0.217
8/27/2026 | 5 | 84546 | 19358 | -18750 | 31751 | 8285 | -8025 | 0.376 | 924 | 201 | 0.218
8/27/2026 | 6 | 87307 | 20276 | -19998 | 32221 | 8678 | -8559 | 0.369 | 1159 | 277 | 0.239
8/27/2026 | 7 | 91296 | 22913 | -21835 | 32170 | 9807 | -9345 | 0.353 | 2100 | 580 | 0.276
8/27/2026 | 8 | 94979 | 21923 | -21275 | 31832 | 9383 | -9106 | 0.336 | 2291 | 756 | 0.33
8/27/2026 | 9 | 98068 | 21486 | -20833 | 31482 | 9196 | -8916 | 0.322 | 2308 | 722 | 0.313
8/27/2026 | 10 | 101781 | 21325 | -21021 | 31819 | 9127 | -8997 | 0.313 | 1737 | 548 | 0.315
8/27/2026 | 11 | 106534 | 22359 | -22365 | 32393 | 9569 | -9572 | 0.304 | 1012 | 241 | 0.238
8/27/2026 | 12 | 111935 | 22166 | -22360 | 32813 | 9487 | -9570 | 0.293 | 250 | 20 | 0.08
8/27/2026 | 13 | 118012 | 22847 | -22927 | 33506 | 9779 | -9813 | 0.284 | 0 | 0 | 0
8/27/2026 | 14 | 123335 | 23387 | -23435 | 34406 | 10010 | -10030 | 0.279 | 0 | 0 | 0
8/27/2026 | 15 | 127310 | 24245 | -24318 | 35827 | 10377 | -10408 | 0.281 | 63 | 0 | 0
8/27/2026 | 16 | 130467 | 24710 | -24863 | 36484 | 10576 | -10642 | 0.279 | 27 | 0 | 0
8/27/2026 | 17 | 130794 | 27748 | -27790 | 36518 | 11876 | -11894 | 0.279 | 1126 | 146 | 0.13
8/27/2026 | 18 | 129933 | 29286 | -28984 | 36819 | 12534 | -12406 | 0.284 | 1325 | 163 | 0.123
8/27/2026 | 19 | 125536 | 30222 | -29894 | 36220 | 12935 | -12794 | 0.289 | 122 | 7 | 0.057
8/27/2026 | 20 | 121122 | 29545 | -29067 | 35654 | 12645 | -12440 | 0.295 | 207 | 10 | 0.048
8/27/2026 | 21 | 118259 | 29682 | -29087 | 35465 | 12704 | -12449 | 0.301 | 930 | 91 | 0.098
8/27/2026 | 22 | 113144 | 28141 | -27509 | 35532 | 12044 | -11774 | 0.315 | 1692 | 383 | 0.226
8/27/2026 | 23 | 106026 | 23006 | -22587 | 35024 | 9847 | -9667 | 0.331 | 871 | 59 | 0.068
8/27/2026 | 24 | 98443 | 23024 | -22212 | 34236 | 9854 | -9506 | 0.348 | 1200 | 228 | 0.19
8/28/2026 | 1 | 92448 | 22031 | -20792 | 33754 | 9429 | -8899 | 0.366 | 700 | 74 | 0.106
8/28/2026 | 2 | 87584 | 21567 | -20253 | 33126 | 9231 | -8668 | 0.379 | 461 | 16 | 0.035
8/28/2026 | 3 | 84533 | 21227 | -20296 | 32125 | 9085 | -8687 | 0.381 | 364 | 19 | 0.052
8/28/2026 | 4 | 82898 | 20831 | -19884 | 31832 | 8916 | -8510 | 0.384 | 311 | 20 | 0.064
8/28/2026 | 5 | 82633 | 20780 | -19842 | 31897 | 8894 | -8492 | 0.386 | 282 | 15 | 0.053
8/28/2026 | 6 | 85067 | 20844 | -19926 | 31885 | 8921 | -8529 | 0.375 | 102 | 6 | 0.059
8/28/2026 | 7 | 88650 | 21611 | -20262 | 31856 | 9250 | -8672 | 0.36 | 871 | 118 | 0.135
8/28/2026 | 8 | 93159 | 20793 | -20203 | 31229 | 8899 | -8647 | 0.336 | 427 | 234 | 0.548
8/28/2026 | 9 | 97512 | 21447 | -21152 | 30684 | 9179 | -9053 | 0.315 | 0 | 0 | 0
8/28/2026 | 10 | 101559 | 20751 | -20728 | 30337 | 8881 | -8872 | 0.299 | 0 | 0 | 0
8/28/2026 | 11 | 105746 | 21128 | -21316 | 30426 | 9043 | -9123 | 0.287 | 0 | 0 | 0
8/28/2026 | 12 | 110100 | 20955 | -21161 | 31063 | 8968 | -9056 | 0.282 | 92 | 59 | 0.641
8/28/2026 | 13 | 114313 | 21332 | -21652 | 31489 | 9130 | -9267 | 0.275 | 440 | 113 | 0.257
8/28/2026 | 14 | 118119 | 22114 | -22858 | 31564 | 9465 | -9783 | 0.266 | 54 | 5 | 0.093
8/28/2026 | 15 | 121239 | 22793 | -23548 | 31600 | 9755 | -10078 | 0.26 | 0 | 0 | 0
8/28/2026 | 16 | 124363 | 24525 | -25501 | 31984 | 10497 | -10914 | 0.256 | 0 | 0 | 0
8/28/2026 | 17 | 125144 | 25776 | -26406 | 31620 | 11032 | -11302 | 0.252 | 0 | 0 | 0
8/28/2026 | 18 | 125616 | 26736 | -27504 | 32636 | 11443 | -11772 | 0.259 | 331 | 11 | 0.033
8/28/2026 | 19 | 122133 | 27753 | -28040 | 33235 | 11878 | -12002 | 0.272 | 476 | 10 | 0.021
8/28/2026 | 20 | 118170 | 27286 | -27328 | 33289 | 11679 | -11696 | 0.282 | 778 | 0 | 0
8/28/2026 | 21 | 114972 | 26281 | -26174 | 32822 | 11248 | -11203 | 0.286 | 1360 | 54 | 0.04
8/28/2026 | 22 | 110233 | 25229 | -25255 | 32792 | 10798 | -10809 | 0.297 | 1161 | 86 | 0.074
8/28/2026 | 23 | 104141 | 21572 | -21887 | 32467 | 9233 | -9368 | 0.311 | 985 | 157 | 0.159
8/28/2026 | 24 | 97944 | 21574 | -21814 | 31688 | 9234 | -9336 | 0.323 | 996 | 180 | 0.181
8/29/2026 | 1 | 92581 | 20833 | -20786 | 29981 | 8917 | -8896 | 0.324 | 1743 | 428 | 0.246
8/29/2026 | 2 | 88131 | 20360 | -20606 | 28776 | 8714 | -8819 | 0.326 | 1662 | 489 | 0.294
8/29/2026 | 3 | 84302 | 20439 | -20633 | 27936 | 8748 | -8831 | 0.331 | 983 | 416 | 0.423
8/29/2026 | 4 | 82279 | 20283 | -20529 | 27206 | 8681 | -8787 | 0.33 | 967 | 478 | 0.494
8/29/2026 | 5 | 81093 | 20230 | -20328 | 25758 | 8658 | -8700 | 0.318 | 950 | 543 | 0.572
8/29/2026 | 6 | 81338 | 20697 | -20754 | 24958 | 8858 | -8882 | 0.307 | 1039 | 624 | 0.601
8/29/2026 | 7 | 82566 | 20910 | -20676 | 24305 | 8949 | -8850 | 0.295 | 1211 | 630 | 0.52
8/29/2026 | 8 | 84588 | 20696 | -20500 | 22305 | 8858 | -8774 | 0.264 | 1407 | 969 | 0.689
8/29/2026 | 9 | 88376 | 20736 | -20532 | 21128 | 8875 | -8787 | 0.24 | 1878 | 1541 | 0.821
8/29/2026 | 10 | 92011 | 19613 | -19845 | 21282 | 8394 | -8494 | 0.231 | 1582 | 1448 | 0.915
8/29/2026 | 11 | 96381 | 16748 | -17706 | 21372 | 7168 | -7578 | 0.22 | 1640 | 1498 | 0.913
8/29/2026 | 12 | 100397 | 17322 | -18700 | 21739 | 7414 | -8004 | 0.214 | 909 | 963 | 1.059
8/29/2026 | 13 | 104101 | 18238 | -19616 | 22754 | 7806 | -8396 | 0.216 | 1124 | 861 | 0.766
8/29/2026 | 14 | 107560 | 19141 | -20564 | 23681 | 8192 | -8801 | 0.217 | 1151 | 982 | 0.853
8/29/2026 | 15 | 110411 | 19643 | -21228 | 24058 | 8407 | -9086 | 0.215 | 915 | 556 | 0.608
8/29/2026 | 16 | 113789 | 21319 | -23001 | 24486 | 9125 | -9844 | 0.212 | 1587 | 850 | 0.536
8/29/2026 | 17 | 115774 | 23723 | -25139 | 25002 | 10153 | -10760 | 0.213 | 1168 | 536 | 0.459
8/29/2026 | 18 | 117570 | 24756 | -26197 | 26079 | 10596 | -11212 | 0.219 | 1452 | 393 | 0.271
8/29/2026 | 19 | 116925 | 26016 | -27039 | 27771 | 11135 | -11573 | 0.236 | 2029 | 440 | 0.217
8/29/2026 | 20 | 112122 | 25735 | -26354 | 28087 | 11015 | -11280 | 0.25 | 2362 | 602 | 0.255
8/29/2026 | 21 | 108518 | 24878 | -25238 | 27810 | 10648 | -10802 | 0.256 | 2008 | 521 | 0.259
8/29/2026 | 22 | 103523 | 24563 | -24589 | 27737 | 10513 | -10524 | 0.268 | 2689 | 785 | 0.292
8/29/2026 | 23 | 97237 | 22377 | -21912 | 27338 | 9577 | -9379 | 0.282 | 1916 | 468 | 0.244
8/29/2026 | 24 | 91413 | 21448 | -20921 | 26188 | 9180 | -8954 | 0.287 | 1730 | 439 | 0.254
8/30/2026 | 1 | 86915 | 18026 | -17766 | 25138 | 7715 | -7604 | 0.29 | 1335 | 175 | 0.131
8/30/2026 | 2 | 82931 | 17285 | -17155 | 24681 | 7398 | -7342 | 0.298 | 1482 | 289 | 0.195
8/30/2026 | 3 | 79920 | 16613 | -16550 | 23769 | 7111 | -7083 | 0.298 | 2028 | 544 | 0.268
8/30/2026 | 4 | 77460 | 16915 | -16777 | 23114 | 7240 | -7180 | 0.299 | 2020 | 650 | 0.322
8/30/2026 | 5 | 76235 | 16702 | -16507 | 22812 | 7148 | -7065 | 0.3 | 1908 | 569 | 0.298
8/30/2026 | 6 | 76017 | 17167 | -17017 | 22926 | 7347 | -7283 | 0.302 | 1810 | 520 | 0.287
8/30/2026 | 7 | 76893 | 16929 | -17207 | 22825 | 7246 | -7365 | 0.296 | 1990 | 749 | 0.376
8/30/2026 | 8 | 78766 | 16302 | -16870 | 20547 | 6977 | -7220 | 0.26 | 2092 | 1476 | 0.706
8/30/2026 | 9 | 81032 | 15915 | -16231 | 19093 | 6812 | -6947 | 0.235 | 1742 | 1827 | 1.049
8/30/2026 | 10 | 83422 | 15718 | -16146 | 18340 | 6728 | -6911 | 0.219 | 1458 | 1758 | 1.206
8/30/2026 | 11 | 86642 | 15492 | -16315 | 17808 | 6630 | -6983 | 0.203 | 1468 | 1465 | 0.998
8/30/2026 | 12 | 90136 | 15250 | -16293 | 18547 | 6527 | -6974 | 0.203 | 1635 | 1158 | 0.708
8/30/2026 | 13 | 93455 | 15842 | -17004 | 19340 | 6781 | -7278 | 0.204 | 1210 | 786 | 0.65
8/30/2026 | 14 | 97006 | 16352 | -17527 | 20282 | 6999 | -7502 | 0.206 | 1237 | 842 | 0.681
8/30/2026 | 15 | 101839 | 16842 | -18236 | 21798 | 7209 | -7805 | 0.211 | 1795 | 824 | 0.459
8/30/2026 | 16 | 107026 | 17334 | -19124 | 22568 | 7419 | -8185 | 0.207 | 2026 | 701 | 0.346
8/30/2026 | 17 | 111043 | 18387 | -20167 | 23884 | 7870 | -8631 | 0.212 | 1349 | 394 | 0.292
8/30/2026 | 18 | 114914 | 21615 | -23296 | 25925 | 9251 | -9970 | 0.223 | 1442 | 114 | 0.079
8/30/2026 | 19 | 114218 | 22263 | -23031 | 28203 | 9528 | -9857 | 0.246 | 1453 | 178 | 0.123
8/30/2026 | 20 | 110544 | 21478 | -21954 | 29201 | 9193 | -9396 | 0.263 | 1102 | 42 | 0.038
8/30/2026 | 21 | 106388 | 21313 | -21268 | 29228 | 9122 | -9103 | 0.275 | 713 | 79 | 0.111
8/30/2026 | 22 | 101256 | 19575 | -19804 | 29039 | 8378 | -8476 | 0.286 | 1167 | 169 | 0.145
8/30/2026 | 23 | 93038 | 18053 | -17872 | 28386 | 7727 | -7649 | 0.305 | 2341 | 626 | 0.267
8/30/2026 | 24 | 86024 | 17251 | -16743 | 27632 | 7384 | -7166 | 0.322 | 2809 | 883 | 0.314
8/31/2026 | 1 | 81750 | 17311 | -16858 | 27240 | 7409 | -7215 | 0.334 | 1488 | 376 | 0.253
8/31/2026 | 2 | 78094 | 17410 | -16878 | 26644 | 7452 | -7224 | 0.342 | 1748 | 454 | 0.26
8/31/2026 | 3 | 75610 | 16873 | -16384 | 26023 | 7222 | -7012 | 0.345 | 2150 | 618 | 0.287
8/31/2026 | 4 | 74347 | 16846 | -16390 | 25652 | 7210 | -7015 | 0.346 | 2150 | 671 | 0.312
8/31/2026 | 5 | 75128 | 16170 | -15786 | 25461 | 6920 | -6757 | 0.339 | 1852 | 537 | 0.29
8/31/2026 | 6 | 78333 | 16912 | -16699 | 25446 | 7238 | -7147 | 0.325 | 1677 | 369 | 0.22
8/31/2026 | 7 | 82691 | 17510 | -17407 | 25374 | 7494 | -7450 | 0.307 | 1594 | 430 | 0.27
8/31/2026 | 8 | 85731 | 16142 | -16211 | 24103 | 6908 | -6938 | 0.281 | 1357 | 550 | 0.405
8/31/2026 | 9 | 88030 | 15702 | -15878 | 22555 | 6721 | -6796 | 0.256 | 718 | 160 | 0.223
8/31/2026 | 10 | 89561 | 15858 | -16126 | 22441 | 6787 | -6902 | 0.25 | 644 | 231 | 0.359
8/31/2026 | 11 | 90688 | 15808 | -16286 | 22378 | 6766 | -6970 | 0.246 | 484 | 228 | 0.471
8/31/2026 | 12 | 92110 | 16215 | -16879 | 22424 | 6940 | -7224 | 0.242 | 308 | 34 | 0.11
8/31/2026 | 13 | 94377 | 16598 | -17404 | 21462 | 7104 | -7449 | 0.226 | 805 | 56 | 0.07
8/31/2026 | 14 | 97526 | 17657 | -18848 | 20997 | 7557 | -8067 | 0.213 | 136 | 6 | 0.044
8/31/2026 | 15 | 100525 | 18654 | -19432 | 20572 | 7984 | -8317 | 0.203 | 6 | 1 | 0.167
8/31/2026 | 16 | 104946 | 18221 | -19495 | 21590 | 7799 | -8344 | 0.203 | 0 | 0 | 0
8/31/2026 | 17 | 108446 | 19030 | -20934 | 23232 | 8144 | -8959 | 0.21 | 0 | 0 | 0
8/31/2026 | 18 | 110382 | 20504 | -21764 | 25331 | 8776 | -9315 | 0.227 | 139 | 32 | 0.23
8/31/2026 | 19 | 108983 | 21459 | -22227 | 26738 | 9184 | -9513 | 0.244 | 1388 | 172 | 0.124
8/31/2026 | 20 | 105379 | 21744 | -22238 | 26551 | 9306 | -9518 | 0.251 | 1304 | 62 | 0.048
8/31/2026 | 21 | 102560 | 21924 | -22516 | 26305 | 9383 | -9637 | 0.255 | 619 | 18 | 0.029
8/31/2026 | 22 | 97542 | 20635 | -21195 | 25974 | 8832 | -9072 | 0.265 | 1501 | 133 | 0.089
8/31/2026 | 23 | 91373 | 18670 | -19205 | 25763 | 7991 | -8220 | 0.281 | 1466 | 133 | 0.091
8/31/2026 | 24 | 84378 | 18955 | -18800 | 25433 | 8112 | -8046 | 0.302 | 1266 | 149 | 0.118