## KEY
Average Emissions Rate Calculation
Background:
The CAISO is publishing this metric of an average emissions rate (AER) based on the discussion in the GHG working groups. CAISO discussed the metric at the November 27, 2023 GHG Coordination Working Group. A brief explanation of the methodology is included below:
Methodology:
1) Which resources are reflected in this example AER metric (all schedules are from the 5-minute market)
- All supply resources are included
- All demand response resources are excluded
- All energy storage resources are included (emissions rate used is 0 MTCO2e/MWh)
- Resources that were attributed to serve California are included
2) The AER measures all schedules ie. The total dispatach of the resources and not relative to WEIM base schedule
3) Bilateral transactions are included (emissions rate used is 0.428 MTCO2e/MWh) unless they are resource specific.
4) CAISO filled in missing heat rate and emissions rate data by using wtd averages from existing data
Key
TRADE_DT | Trade date of the reported data in MM/DD/YYYY format
TRADE_HR | Trade hour of the reported data. Data is reported as the "hour-ending", e.g. TRADE_HR = 2 is for the hour-ending 1:59:59AM Pacific time
GEN_MWH | MWh of electricity generation in the WEIM area* (including CAISO)
IMP_MWH | MWh of electricity imports into the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
EXP_MWH | MWh of electricity exports from the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
GEN_GHG | Greenhouse gas emissions in MTCO2e of electricity generation in the WEIM area
IMP_GHG | Greenhouse gas emissions in MTCO2e of electricity imports into the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
EXP_GHG | Greenhouse gas emissions in MTCO2e of electricity exports from the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
AVG_EM_RATE | Average emissions rate calculated as columns G through I divided by columns C through E
ATTR_MWH | MWh of WEIM transfers into California which, by definition, is equal to the sum of the GHG attributions
ATTR_GHG | Greenhouse gas emissions in MTCO2e of WEIM transfers into California (resource-specific)
ATTR_AVG_EM_RATE | Average emissions rate of WEIM transfers into California
CAISO PUBLIC

## AER_SUMMARY
TRADE_DT | TRADE_HR | GEN_MWH | IMP_MWH | EXP_MWH | GEN_GHG | IMP_GHG | EXP_GHG | AVG_EM_RATE | ATTR_MWH | ATTR_GHG | ATTR_AVG_EM_RATE
12/1/2025 | 1 | 71563 | 13660 | -11638 | 22731 | 5847 | -4981 | 0.321 | 389 | 50 | 0.129
12/1/2025 | 2 | 70180 | 13622 | -11664 | 22580 | 5830 | -4992 | 0.325 | 418 | 32 | 0.077
12/1/2025 | 3 | 69586 | 12791 | -11074 | 22425 | 5474 | -4740 | 0.325 | 126 | 0 | 0
12/1/2025 | 4 | 70311 | 12501 | -10934 | 22478 | 5350 | -4679 | 0.322 | 53 | 0 | 0
12/1/2025 | 5 | 73737 | 12563 | -11154 | 22726 | 5377 | -4774 | 0.31 | 24 | 0 | 0
12/1/2025 | 6 | 78688 | 13797 | -12125 | 23480 | 5905 | -5190 | 0.301 | 0 | 0 | 0
12/1/2025 | 7 | 85234 | 12438 | -11070 | 23546 | 5324 | -4738 | 0.279 | 758 | 34 | 0.045
12/1/2025 | 8 | 87798 | 11495 | -10498 | 22274 | 4920 | -4493 | 0.256 | 612 | 24 | 0.039
12/1/2025 | 9 | 85897 | 12352 | -10881 | 18985 | 5287 | -4657 | 0.225 | 492 | 2 | 0.004
12/1/2025 | 10 | 83465 | 11926 | -10397 | 17999 | 5104 | -4450 | 0.219 | 289 | 0 | 0
12/1/2025 | 11 | 81304 | 11939 | -10300 | 18381 | 5110 | -4408 | 0.23 | 247 | 0 | 0
12/1/2025 | 12 | 79294 | 11831 | -10193 | 18413 | 5064 | -4363 | 0.236 | 177 | 0 | 0
12/1/2025 | 13 | 77892 | 11732 | -10310 | 17844 | 5021 | -4413 | 0.233 | 258 | 0 | 0
12/1/2025 | 14 | 77917 | 11540 | -10174 | 17346 | 4939 | -4354 | 0.226 | 285 | 0 | 0
12/1/2025 | 15 | 79633 | 11570 | -10403 | 17203 | 4952 | -4453 | 0.219 | 69 | 0 | 0
12/1/2025 | 16 | 83840 | 11149 | -10032 | 20305 | 4772 | -4294 | 0.245 | 26 | 0 | 0
12/1/2025 | 17 | 89519 | 12411 | -11244 | 23103 | 5312 | -4812 | 0.26 | 552 | 0 | 0
12/1/2025 | 18 | 92227 | 12656 | -11248 | 23592 | 5417 | -4815 | 0.258 | 475 | 0 | 0
12/1/2025 | 19 | 90862 | 12814 | -10947 | 23422 | 5485 | -4685 | 0.261 | 592 | 0 | 0
12/1/2025 | 20 | 89070 | 13189 | -11027 | 23362 | 5645 | -4720 | 0.266 | 718 | 4 | 0.006
12/1/2025 | 21 | 86318 | 12600 | -10138 | 23168 | 5393 | -4339 | 0.273 | 769 | 17 | 0.022
12/1/2025 | 22 | 83443 | 12502 | -10500 | 22972 | 5351 | -4494 | 0.279 | 774 | 91 | 0.118
12/1/2025 | 23 | 79545 | 12627 | -10851 | 22539 | 5405 | -4644 | 0.287 | 297 | 4 | 0.013
12/1/2025 | 24 | 75021 | 13250 | -11038 | 21889 | 5671 | -4724 | 0.296 | 409 | 39 | 0.095
12/2/2025 | 1 | 71933 | 13924 | -11298 | 21212 | 5960 | -4835 | 0.3 | 766 | 182 | 0.238
12/2/2025 | 2 | 70023 | 14279 | -11747 | 20844 | 6111 | -5028 | 0.302 | 509 | 128 | 0.251
12/2/2025 | 3 | 68826 | 14327 | -11870 | 20708 | 6132 | -5080 | 0.305 | 472 | 115 | 0.244
12/2/2025 | 4 | 68982 | 14243 | -11787 | 21037 | 6096 | -5045 | 0.309 | 276 | 51 | 0.185
12/2/2025 | 5 | 71623 | 14372 | -12002 | 21590 | 6151 | -5137 | 0.305 | 400 | 0 | 0
12/2/2025 | 6 | 77230 | 15051 | -12698 | 22310 | 6442 | -5434 | 0.293 | 345 | 0 | 0
12/2/2025 | 7 | 83997 | 14394 | -12214 | 22277 | 6161 | -5228 | 0.269 | 556 | 3 | 0.005
12/2/2025 | 8 | 86367 | 12909 | -10895 | 21313 | 5525 | -4663 | 0.251 | 980 | 155 | 0.158
12/2/2025 | 9 | 84266 | 12118 | -10109 | 19179 | 5187 | -4327 | 0.232 | 496 | 17 | 0.034
12/2/2025 | 10 | 81056 | 11711 | -9781 | 18414 | 5012 | -4186 | 0.232 | 369 | 0 | 0
12/2/2025 | 11 | 78781 | 10958 | -9114 | 18601 | 4690 | -3901 | 0.24 | 180 | 0 | 0
12/2/2025 | 12 | 77024 | 10903 | -8848 | 18542 | 4667 | -3787 | 0.246 | 339 | 2 | 0.006
12/2/2025 | 13 | 76416 | 11110 | -9110 | 18510 | 4755 | -3899 | 0.247 | 385 | 7 | 0.018
12/2/2025 | 14 | 77197 | 11082 | -9151 | 18641 | 4743 | -3917 | 0.246 | 372 | 0 | 0
12/2/2025 | 15 | 79023 | 10825 | -9441 | 17828 | 4633 | -4040 | 0.229 | 0 | 0 | 0
12/2/2025 | 16 | 82752 | 10808 | -9482 | 19798 | 4626 | -4058 | 0.242 | 1 | 0 | 0
12/2/2025 | 17 | 88185 | 11976 | -10486 | 22588 | 5126 | -4488 | 0.259 | 726 | 0 | 0
12/2/2025 | 18 | 90931 | 12187 | -10566 | 22781 | 5216 | -4523 | 0.254 | 738 | 34 | 0.046
12/2/2025 | 19 | 89930 | 12078 | -10376 | 22799 | 5170 | -4441 | 0.257 | 662 | 3 | 0.005
12/2/2025 | 20 | 88855 | 11542 | -9893 | 22960 | 4940 | -4234 | 0.261 | 889 | 4 | 0.004
12/2/2025 | 21 | 86445 | 11632 | -9934 | 22867 | 4978 | -4252 | 0.268 | 855 | 0 | 0
12/2/2025 | 22 | 83247 | 11190 | -9361 | 22576 | 4789 | -4006 | 0.275 | 686 | 0 | 0
12/2/2025 | 23 | 78664 | 12311 | -10312 | 22636 | 5269 | -4414 | 0.291 | 741 | 1 | 0.001
12/2/2025 | 24 | 74586 | 12110 | -10157 | 22767 | 5183 | -4347 | 0.308 | 642 | 18 | 0.028
12/3/2025 | 1 | 72064 | 10604 | -8262 | 22373 | 4538 | -3536 | 0.314 | 1070 | 116 | 0.108
12/3/2025 | 2 | 70057 | 10578 | -8212 | 22220 | 4527 | -3515 | 0.321 | 792 | 98 | 0.124
12/3/2025 | 3 | 69040 | 10067 | -7753 | 21989 | 4309 | -3318 | 0.322 | 581 | 36 | 0.062
12/3/2025 | 4 | 69294 | 10425 | -7905 | 22192 | 4462 | -3383 | 0.324 | 389 | 0 | 0
12/3/2025 | 5 | 72041 | 10438 | -8253 | 23104 | 4467 | -3533 | 0.324 | 207 | 0 | 0
12/3/2025 | 6 | 77335 | 10779 | -8741 | 23663 | 4614 | -3741 | 0.309 | 226 | 0 | 0
12/3/2025 | 7 | 83770 | 10533 | -8813 | 23609 | 4508 | -3772 | 0.285 | 0 | 0 | 0
12/3/2025 | 8 | 86638 | 10478 | -8811 | 23204 | 4484 | -3771 | 0.271 | 205 | 0 | 0
12/3/2025 | 9 | 84557 | 10011 | -8212 | 21115 | 4285 | -3515 | 0.253 | 404 | 0 | 0
12/3/2025 | 10 | 82089 | 10025 | -8120 | 20422 | 4291 | -3475 | 0.253 | 1 | 0 | 0
12/3/2025 | 11 | 80098 | 10158 | -8324 | 20210 | 4347 | -3563 | 0.256 | 383 | 0 | 0
12/3/2025 | 12 | 77986 | 10311 | -8478 | 20117 | 4413 | -3629 | 0.262 | 12 | 0 | 0
12/3/2025 | 13 | 77940 | 9631 | -8597 | 19716 | 4122 | -3680 | 0.255 | 0 | 0 | 0
12/3/2025 | 14 | 78703 | 10078 | -9027 | 19878 | 4313 | -3864 | 0.255 | 0 | 0 | 0
12/3/2025 | 15 | 80500 | 10452 | -9626 | 20081 | 4474 | -4120 | 0.251 | 0 | 0 | 0
12/3/2025 | 16 | 84258 | 11300 | -10362 | 22174 | 4837 | -4435 | 0.265 | 19 | 0 | 0
12/3/2025 | 17 | 88781 | 11871 | -10679 | 24122 | 5081 | -4570 | 0.274 | 245 | 0 | 0
12/3/2025 | 18 | 91413 | 12334 | -11020 | 24647 | 5279 | -4717 | 0.272 | 827 | 1 | 0.001
12/3/2025 | 19 | 90522 | 12409 | -11026 | 24837 | 5311 | -4719 | 0.277 | 727 | 5 | 0.007
12/3/2025 | 20 | 88788 | 12033 | -10203 | 24882 | 5150 | -4367 | 0.283 | 852 | 6 | 0.007
12/3/2025 | 21 | 86997 | 11438 | -9451 | 24757 | 4896 | -4045 | 0.288 | 695 | 1 | 0.001
12/3/2025 | 22 | 83676 | 11504 | -9464 | 24157 | 4924 | -4051 | 0.292 | 879 | 55 | 0.063
12/3/2025 | 23 | 78546 | 12282 | -9890 | 23232 | 5256 | -4233 | 0.3 | 975 | 26 | 0.027
12/3/2025 | 24 | 74377 | 12532 | -9763 | 22753 | 5364 | -4179 | 0.31 | 955 | 33 | 0.035
12/4/2025 | 1 | 72239 | 13977 | -11076 | 22355 | 5982 | -4740 | 0.314 | 697 | 6 | 0.009
12/4/2025 | 2 | 70639 | 14222 | -11274 | 22100 | 6087 | -4826 | 0.317 | 782 | 20 | 0.026
12/4/2025 | 3 | 69234 | 14232 | -11227 | 21816 | 6092 | -4805 | 0.32 | 701 | 0 | 0
12/4/2025 | 4 | 69730 | 14318 | -11431 | 21859 | 6128 | -4893 | 0.318 | 652 | 15 | 0.023
12/4/2025 | 5 | 72175 | 14696 | -11818 | 22092 | 6290 | -5058 | 0.311 | 733 | 16 | 0.022
12/4/2025 | 6 | 77653 | 14789 | -11853 | 22354 | 6330 | -5073 | 0.293 | 793 | 19 | 0.024
12/4/2025 | 7 | 84278 | 13786 | -10891 | 22604 | 5900 | -4662 | 0.274 | 932 | 135 | 0.145
12/4/2025 | 8 | 86589 | 13301 | -10558 | 21533 | 5693 | -4518 | 0.254 | 1457 | 372 | 0.255
12/4/2025 | 9 | 84030 | 12488 | -9763 | 17695 | 5345 | -4178 | 0.217 | 1369 | 399 | 0.291
12/4/2025 | 10 | 81059 | 12188 | -9436 | 16690 | 5216 | -4039 | 0.213 | 532 | 28 | 0.053
12/4/2025 | 11 | 78747 | 12108 | -9670 | 16506 | 5182 | -4139 | 0.216 | 242 | 0 | 0
12/4/2025 | 12 | 77049 | 12295 | -9945 | 15954 | 5262 | -4257 | 0.214 | 502 | 17 | 0.034
12/4/2025 | 13 | 77068 | 13093 | -11215 | 15616 | 5604 | -4800 | 0.208 | 25 | 0 | 0
12/4/2025 | 14 | 77819 | 12793 | -11021 | 15670 | 5475 | -4717 | 0.206 | 143 | 0 | 0
12/4/2025 | 15 | 79058 | 12280 | -10560 | 15737 | 5256 | -4520 | 0.204 | 140 | 1 | 0.007
12/4/2025 | 16 | 83130 | 12324 | -11008 | 18253 | 5274 | -4711 | 0.223 | 298 | 0 | 0
12/4/2025 | 17 | 88512 | 13173 | -11512 | 21085 | 5638 | -4927 | 0.242 | 1166 | 56 | 0.048
12/4/2025 | 18 | 91121 | 14327 | -12570 | 21431 | 6132 | -5380 | 0.239 | 1670 | 316 | 0.189
12/4/2025 | 19 | 89990 | 15690 | -13461 | 21516 | 6716 | -5761 | 0.244 | 1647 | 158 | 0.096
12/4/2025 | 20 | 89143 | 15601 | -13331 | 21518 | 6677 | -5705 | 0.246 | 1724 | 201 | 0.117
12/4/2025 | 21 | 86130 | 15123 | -12747 | 20780 | 6473 | -5455 | 0.246 | 1146 | 76 | 0.066
12/4/2025 | 22 | 83152 | 15193 | -12695 | 20682 | 6503 | -5433 | 0.254 | 1233 | 105 | 0.085
12/4/2025 | 23 | 78541 | 16071 | -13354 | 20155 | 6878 | -5716 | 0.262 | 840 | 62 | 0.074
12/4/2025 | 24 | 74045 | 16442 | -13463 | 19712 | 7037 | -5762 | 0.272 | 512 | 11 | 0.021
12/5/2025 | 1 | 72177 | 16876 | -14463 | 18862 | 7223 | -6190 | 0.267 | 758 | 111 | 0.146
12/5/2025 | 2 | 70057 | 16661 | -14317 | 18448 | 7131 | -6128 | 0.269 | 615 | 65 | 0.106
12/5/2025 | 3 | 68622 | 16527 | -14229 | 18374 | 7073 | -6090 | 0.273 | 760 | 74 | 0.097
12/5/2025 | 4 | 69264 | 15883 | -14059 | 18597 | 6798 | -6017 | 0.273 | 714 | 105 | 0.147
12/5/2025 | 5 | 72046 | 15327 | -14127 | 19261 | 6560 | -6046 | 0.27 | 816 | 91 | 0.112
12/5/2025 | 6 | 77221 | 15120 | -14088 | 20277 | 6471 | -6030 | 0.265 | 634 | 37 | 0.058
12/5/2025 | 7 | 83488 | 13724 | -13092 | 20659 | 5874 | -5604 | 0.249 | 986 | 28 | 0.028
12/5/2025 | 8 | 86519 | 12847 | -12601 | 19649 | 5499 | -5393 | 0.228 | 688 | 50 | 0.073
12/5/2025 | 9 | 85752 | 11536 | -11559 | 17558 | 4937 | -4947 | 0.205 | 422 | 1 | 0.002
12/5/2025 | 10 | 83625 | 11154 | -11241 | 17018 | 4774 | -4811 | 0.203 | 253 | 0 | 0
12/5/2025 | 11 | 81335 | 11650 | -11521 | 16940 | 4986 | -4931 | 0.209 | 647 | 1 | 0.002
12/5/2025 | 12 | 79234 | 12187 | -11987 | 16677 | 5216 | -5130 | 0.211 | 571 | 1 | 0.002
12/5/2025 | 13 | 78813 | 12922 | -12856 | 16560 | 5530 | -5502 | 0.21 | 660 | 0 | 0
12/5/2025 | 14 | 78857 | 13242 | -13055 | 16110 | 5668 | -5588 | 0.205 | 168 | 0 | 0
12/5/2025 | 15 | 80276 | 12774 | -12839 | 16030 | 5467 | -5495 | 0.199 | 232 | 0 | 0
12/5/2025 | 16 | 83785 | 14134 | -14467 | 18214 | 6049 | -6192 | 0.217 | 469 | 1 | 0.002
12/5/2025 | 17 | 88085 | 15286 | -15558 | 19534 | 6543 | -6659 | 0.221 | 954 | 8 | 0.008
12/5/2025 | 18 | 90366 | 15788 | -16234 | 19434 | 6757 | -6948 | 0.214 | 996 | 40 | 0.04
12/5/2025 | 19 | 88618 | 15752 | -15934 | 19255 | 6742 | -6820 | 0.217 | 1069 | 42 | 0.039
12/5/2025 | 20 | 86559 | 16015 | -15929 | 18658 | 6854 | -6818 | 0.216 | 978 | 64 | 0.065
12/5/2025 | 21 | 84644 | 15722 | -15042 | 18185 | 6729 | -6438 | 0.217 | 920 | 61 | 0.066
12/5/2025 | 22 | 82026 | 16040 | -14821 | 17866 | 6865 | -6343 | 0.221 | 976 | 27 | 0.028
12/5/2025 | 23 | 78006 | 17982 | -16320 | 17669 | 7696 | -6985 | 0.231 | 773 | 0 | 0
12/5/2025 | 24 | 74727 | 18374 | -16714 | 17442 | 7864 | -7153 | 0.238 | 802 | 15 | 0.019
12/6/2025 | 1 | 72221 | 17773 | -16228 | 16867 | 7607 | -6946 | 0.238 | 913 | 52 | 0.057
12/6/2025 | 2 | 70118 | 17724 | -16216 | 16145 | 7586 | -6941 | 0.234 | 873 | 43 | 0.049
12/6/2025 | 3 | 68486 | 17767 | -16182 | 15744 | 7604 | -6926 | 0.234 | 827 | 40 | 0.048
12/6/2025 | 4 | 68260 | 17581 | -16218 | 15442 | 7525 | -6942 | 0.23 | 708 | 5 | 0.007
12/6/2025 | 5 | 69225 | 17521 | -16242 | 15770 | 7499 | -6952 | 0.231 | 722 | 0 | 0
12/6/2025 | 6 | 71778 | 17816 | -16507 | 16119 | 7625 | -7065 | 0.228 | 749 | 1 | 0.001
12/6/2025 | 7 | 74790 | 16093 | -15050 | 16099 | 6887 | -6441 | 0.218 | 1019 | 48 | 0.047
12/6/2025 | 8 | 76884 | 15430 | -14799 | 14510 | 6604 | -6334 | 0.191 | 755 | 16 | 0.021
12/6/2025 | 9 | 77478 | 13104 | -12817 | 12543 | 5608 | -5485 | 0.163 | 310 | 0 | 0
12/6/2025 | 10 | 76185 | 13052 | -12752 | 12148 | 5586 | -5458 | 0.161 | 91 | 0 | 0
12/6/2025 | 11 | 74976 | 12508 | -12638 | 12120 | 5353 | -5409 | 0.161 | 516 | 0 | 0
12/6/2025 | 12 | 73446 | 12091 | -12113 | 11811 | 5175 | -5184 | 0.161 | 540 | 5 | 0.009
12/6/2025 | 13 | 72375 | 12286 | -12259 | 11513 | 5258 | -5247 | 0.159 | 781 | 69 | 0.088
12/6/2025 | 14 | 72769 | 12312 | -12116 | 11448 | 5269 | -5186 | 0.158 | 1382 | 244 | 0.177
12/6/2025 | 15 | 74570 | 12974 | -12709 | 11773 | 5553 | -5439 | 0.159 | 1252 | 167 | 0.133
12/6/2025 | 16 | 78422 | 13941 | -13611 | 14150 | 5967 | -5826 | 0.181 | 1560 | 31 | 0.02
12/6/2025 | 17 | 83098 | 15259 | -14732 | 16472 | 6531 | -6305 | 0.2 | 1799 | 150 | 0.083
12/6/2025 | 18 | 84854 | 15881 | -15076 | 17031 | 6797 | -6452 | 0.203 | 1721 | 166 | 0.096
12/6/2025 | 19 | 83279 | 15836 | -14486 | 17341 | 6778 | -6200 | 0.212 | 1860 | 246 | 0.132
12/6/2025 | 20 | 81707 | 15837 | -14157 | 17533 | 6778 | -6059 | 0.219 | 1078 | 130 | 0.121
12/6/2025 | 21 | 80882 | 15211 | -13648 | 17530 | 6510 | -5842 | 0.221 | 1109 | 121 | 0.109
12/6/2025 | 22 | 79227 | 14841 | -13322 | 17767 | 6352 | -5702 | 0.228 | 1433 | 196 | 0.137
12/6/2025 | 23 | 75837 | 16769 | -15174 | 17809 | 7177 | -6494 | 0.239 | 1242 | 181 | 0.146
12/6/2025 | 24 | 72178 | 17126 | -15244 | 17879 | 7330 | -6524 | 0.252 | 1124 | 208 | 0.185
12/7/2025 | 1 | 70077 | 16972 | -15202 | 17700 | 7264 | -6506 | 0.257 | 1358 | 330 | 0.243
12/7/2025 | 2 | 68150 | 17108 | -15355 | 17510 | 7322 | -6572 | 0.261 | 1527 | 386 | 0.253
12/7/2025 | 3 | 66637 | 17522 | -15427 | 17403 | 7499 | -6603 | 0.266 | 1339 | 291 | 0.217
12/7/2025 | 4 | 66405 | 17399 | -15630 | 16923 | 7447 | -6690 | 0.259 | 885 | 155 | 0.175
12/7/2025 | 5 | 67102 | 17696 | -15792 | 17153 | 7574 | -6759 | 0.26 | 700 | 88 | 0.126
12/7/2025 | 6 | 69236 | 17165 | -15485 | 17822 | 7347 | -6628 | 0.261 | 753 | 54 | 0.072
12/7/2025 | 7 | 72526 | 15855 | -14753 | 18242 | 6786 | -6314 | 0.254 | 902 | 100 | 0.111
12/7/2025 | 8 | 73525 | 15419 | -14123 | 16356 | 6600 | -6045 | 0.226 | 965 | 157 | 0.163
12/7/2025 | 9 | 73586 | 13404 | -12492 | 13456 | 5737 | -5347 | 0.186 | 642 | 35 | 0.055
12/7/2025 | 10 | 73386 | 13104 | -12272 | 13391 | 5608 | -5252 | 0.185 | 508 | 0 | 0
12/7/2025 | 11 | 72745 | 13652 | -12771 | 13676 | 5843 | -5466 | 0.191 | 363 | 0 | 0
12/7/2025 | 12 | 72586 | 13859 | -13000 | 13709 | 5931 | -5564 | 0.192 | 502 | 14 | 0.028
12/7/2025 | 13 | 72443 | 13822 | -13143 | 13177 | 5915 | -5625 | 0.184 | 472 | 1 | 0.002
12/7/2025 | 14 | 73249 | 13374 | -13065 | 12765 | 5724 | -5592 | 0.175 | 650 | 95 | 0.146
12/7/2025 | 15 | 75416 | 13538 | -13382 | 12850 | 5794 | -5728 | 0.171 | 676 | 112 | 0.166
12/7/2025 | 16 | 78865 | 14736 | -14620 | 15650 | 6307 | -6257 | 0.199 | 468 | 15 | 0.032
12/7/2025 | 17 | 83153 | 16103 | -15735 | 18029 | 6892 | -6735 | 0.218 | 1107 | 13 | 0.012
12/7/2025 | 18 | 86562 | 17111 | -16769 | 18603 | 7324 | -7177 | 0.216 | 1180 | 122 | 0.103
12/7/2025 | 19 | 85404 | 17317 | -16581 | 18808 | 7412 | -7097 | 0.222 | 1487 | 183 | 0.123
12/7/2025 | 20 | 83572 | 18332 | -16895 | 18782 | 7846 | -7231 | 0.228 | 1140 | 171 | 0.15
12/7/2025 | 21 | 81352 | 17872 | -15968 | 18678 | 7649 | -6834 | 0.234 | 1422 | 114 | 0.08
12/7/2025 | 22 | 78395 | 17080 | -14795 | 18702 | 7310 | -6332 | 0.244 | 1723 | 201 | 0.117
12/7/2025 | 23 | 73857 | 17721 | -15142 | 18285 | 7584 | -6481 | 0.254 | 1112 | 217 | 0.195
12/7/2025 | 24 | 69608 | 17815 | -15120 | 17791 | 7625 | -6471 | 0.262 | 1100 | 157 | 0.143
12/8/2025 | 1 | 67655 | 17267 | -14602 | 18064 | 7390 | -6250 | 0.273 | 1203 | 150 | 0.125
12/8/2025 | 2 | 66014 | 17391 | -14726 | 17362 | 7444 | -6303 | 0.269 | 636 | 67 | 0.105
12/8/2025 | 3 | 65247 | 17687 | -15014 | 17206 | 7570 | -6426 | 0.27 | 640 | 69 | 0.108
12/8/2025 | 4 | 65905 | 17516 | -14978 | 17363 | 7497 | -6411 | 0.27 | 672 | 21 | 0.031
12/8/2025 | 5 | 68801 | 17559 | -15144 | 17926 | 7515 | -6482 | 0.266 | 543 | 6 | 0.011
12/8/2025 | 6 | 74911 | 17514 | -15526 | 19038 | 7496 | -6645 | 0.259 | 605 | 0 | 0
12/8/2025 | 7 | 81859 | 16412 | -15285 | 19447 | 7025 | -6542 | 0.24 | 442 | 0 | 0
12/8/2025 | 8 | 83942 | 15689 | -14616 | 18206 | 6715 | -6255 | 0.22 | 850 | 57 | 0.067
12/8/2025 | 9 | 82670 | 13651 | -12831 | 15586 | 5843 | -5492 | 0.191 | 755 | 70 | 0.093
12/8/2025 | 10 | 81227 | 12799 | -11960 | 14882 | 5478 | -5119 | 0.186 | 604 | 72 | 0.119
12/8/2025 | 11 | 79475 | 13688 | -12382 | 15108 | 5858 | -5300 | 0.194 | 470 | 29 | 0.062
12/8/2025 | 12 | 78265 | 14095 | -12835 | 14994 | 6033 | -5493 | 0.195 | 688 | 99 | 0.144
12/8/2025 | 13 | 78305 | 14811 | -13681 | 14810 | 6339 | -5856 | 0.193 | 901 | 160 | 0.178
12/8/2025 | 14 | 79086 | 15371 | -14441 | 14657 | 6579 | -6181 | 0.188 | 846 | 155 | 0.183
12/8/2025 | 15 | 80710 | 15494 | -14633 | 14955 | 6632 | -6263 | 0.188 | 756 | 121 | 0.16
12/8/2025 | 16 | 84052 | 15357 | -14668 | 17409 | 6573 | -6278 | 0.209 | 361 | 6 | 0.017
12/8/2025 | 17 | 87693 | 16072 | -15044 | 19421 | 6879 | -6439 | 0.224 | 718 | 0 | 0
12/8/2025 | 18 | 90167 | 16897 | -16010 | 19922 | 7232 | -6852 | 0.223 | 680 | 16 | 0.024
12/8/2025 | 19 | 88995 | 18014 | -16875 | 19533 | 7710 | -7222 | 0.222 | 858 | 21 | 0.024
12/8/2025 | 20 | 86610 | 17651 | -15990 | 19478 | 7555 | -6844 | 0.229 | 715 | 37 | 0.052
12/8/2025 | 21 | 84332 | 17097 | -15369 | 19136 | 7317 | -6578 | 0.231 | 835 | 10 | 0.012
12/8/2025 | 22 | 80590 | 16934 | -14899 | 18627 | 7248 | -6377 | 0.236 | 978 | 111 | 0.113
12/8/2025 | 23 | 75659 | 17844 | -15450 | 18132 | 7637 | -6613 | 0.245 | 774 | 38 | 0.049
12/8/2025 | 24 | 71342 | 18157 | -15630 | 17668 | 7771 | -6690 | 0.254 | 528 | 39 | 0.074
12/9/2025 | 1 | 69437 | 17121 | -15260 | 17769 | 7327 | -6531 | 0.26 | 733 | 142 | 0.194
12/9/2025 | 2 | 67882 | 16898 | -15042 | 17604 | 7232 | -6438 | 0.264 | 590 | 86 | 0.146
12/9/2025 | 3 | 66810 | 16855 | -14932 | 17568 | 7214 | -6391 | 0.268 | 397 | 17 | 0.043
12/9/2025 | 4 | 66979 | 16936 | -14967 | 18103 | 7248 | -6406 | 0.275 | 368 | 0 | 0
12/9/2025 | 5 | 69383 | 17074 | -15007 | 18590 | 7308 | -6423 | 0.273 | 258 | 0 | 0
12/9/2025 | 6 | 74213 | 17461 | -15084 | 19314 | 7474 | -6456 | 0.265 | 437 | 0 | 0
12/9/2025 | 7 | 81522 | 15540 | -14034 | 19571 | 6651 | -6007 | 0.243 | 305 | 0 | 0
12/9/2025 | 8 | 84342 | 14682 | -13622 | 18544 | 6284 | -5830 | 0.222 | 610 | 0 | 0
12/9/2025 | 9 | 83220 | 13303 | -12605 | 16717 | 5693 | -5395 | 0.203 | 357 | 2 | 0.006
12/9/2025 | 10 | 82100 | 12483 | -12123 | 16384 | 5343 | -5188 | 0.201 | 53 | 0 | 0
12/9/2025 | 11 | 80118 | 12563 | -12067 | 16504 | 5377 | -5164 | 0.207 | 170 | 0 | 0
12/9/2025 | 12 | 78858 | 12320 | -11834 | 16583 | 5273 | -5065 | 0.212 | 350 | 0 | 0
12/9/2025 | 13 | 78724 | 12131 | -11822 | 16206 | 5192 | -5060 | 0.207 | 403 | 9 | 0.022
12/9/2025 | 14 | 79184 | 12612 | -12254 | 15820 | 5398 | -5245 | 0.201 | 648 | 3 | 0.005
12/9/2025 | 15 | 80988 | 13382 | -12851 | 15764 | 5728 | -5500 | 0.196 | 185 | 0 | 0
12/9/2025 | 16 | 83700 | 13847 | -13172 | 17602 | 5926 | -5638 | 0.212 | 260 | 0 | 0
12/9/2025 | 17 | 88398 | 14829 | -14018 | 19592 | 6347 | -6000 | 0.224 | 370 | 0 | 0
12/9/2025 | 18 | 90556 | 15220 | -14236 | 20396 | 6514 | -6093 | 0.227 | 709 | 0 | 0
12/9/2025 | 19 | 89623 | 15764 | -14763 | 20514 | 6747 | -6318 | 0.231 | 644 | 0 | 0
12/9/2025 | 20 | 87678 | 15179 | -13871 | 20770 | 6496 | -5937 | 0.24 | 803 | 0 | 0
12/9/2025 | 21 | 85333 | 14913 | -13461 | 20631 | 6383 | -5761 | 0.245 | 776 | 0 | 0
12/9/2025 | 22 | 81846 | 15247 | -13784 | 20455 | 6526 | -5900 | 0.253 | 594 | 0 | 0
12/9/2025 | 23 | 76936 | 17096 | -15198 | 20078 | 7317 | -6505 | 0.265 | 572 | 0 | 0
12/9/2025 | 24 | 72453 | 17274 | -15329 | 19498 | 7394 | -6561 | 0.273 | 627 | 0 | 0
12/10/2025 | 1 | 69740 | 17124 | -15239 | 18232 | 7329 | -6522 | 0.266 | 654 | 54 | 0.083
12/10/2025 | 2 | 67472 | 17620 | -15678 | 17468 | 7541 | -6710 | 0.264 | 585 | 1 | 0.002
12/10/2025 | 3 | 66174 | 17698 | -15812 | 17095 | 7575 | -6768 | 0.263 | 668 | 0 | 0
12/10/2025 | 4 | 66306 | 17600 | -15762 | 17395 | 7533 | -6746 | 0.267 | 691 | 0 | 0
12/10/2025 | 5 | 68656 | 17669 | -15965 | 17940 | 7562 | -6833 | 0.265 | 610 | 0 | 0
12/10/2025 | 6 | 73926 | 18446 | -16779 | 18769 | 7895 | -7182 | 0.258 | 702 | 0 | 0
12/10/2025 | 7 | 80624 | 17511 | -16434 | 19239 | 7495 | -7034 | 0.241 | 428 | 0 | 0
12/10/2025 | 8 | 83303 | 17454 | -16502 | 17817 | 7470 | -7063 | 0.216 | 747 | 36 | 0.048
12/10/2025 | 9 | 81637 | 16716 | -15798 | 15019 | 7155 | -6762 | 0.187 | 689 | 28 | 0.041
12/10/2025 | 10 | 79738 | 15879 | -14788 | 14459 | 6796 | -6330 | 0.185 | 409 | 0 | 0
12/10/2025 | 11 | 78656 | 15606 | -14506 | 14097 | 6679 | -6209 | 0.183 | 382 | 0 | 0
12/10/2025 | 12 | 77762 | 15788 | -14862 | 13958 | 6757 | -6360 | 0.182 | 388 | 0 | 0
12/10/2025 | 13 | 77715 | 16067 | -15179 | 13963 | 6876 | -6496 | 0.182 | 506 | 0 | 0
12/10/2025 | 14 | 78862 | 16508 | -15916 | 13714 | 7066 | -6812 | 0.176 | 63 | 0 | 0
12/10/2025 | 15 | 79543 | 16273 | -15797 | 13908 | 6965 | -6761 | 0.176 | 134 | 0 | 0
12/10/2025 | 16 | 82481 | 17086 | -16358 | 16493 | 7313 | -7001 | 0.202 | 0 | 0 | 0
12/10/2025 | 17 | 86514 | 17953 | -17128 | 18782 | 7684 | -7331 | 0.219 | 595 | 0 | 0
12/10/2025 | 18 | 88590 | 18469 | -17427 | 18638 | 7905 | -7459 | 0.213 | 610 | 0 | 0
12/10/2025 | 19 | 87952 | 18407 | -17520 | 18645 | 7878 | -7499 | 0.214 | 556 | 0 | 0
12/10/2025 | 20 | 86354 | 18305 | -17367 | 18572 | 7834 | -7433 | 0.217 | 660 | 0 | 0
12/10/2025 | 21 | 84280 | 17777 | -16747 | 18142 | 7608 | -7168 | 0.218 | 589 | 0 | 0
12/10/2025 | 22 | 80936 | 17552 | -16583 | 17847 | 7512 | -7097 | 0.223 | 790 | 0 | 0
12/10/2025 | 23 | 76653 | 18303 | -17287 | 17658 | 7833 | -7399 | 0.233 | 705 | 0 | 0
12/10/2025 | 24 | 72346 | 18197 | -17355 | 17148 | 7788 | -7428 | 0.239 | 731 | 0 | 0
12/11/2025 | 1 | 69385 | 18194 | -16969 | 16462 | 7787 | -7263 | 0.241 | 522 | 0 | 0
12/11/2025 | 2 | 67244 | 17800 | -16584 | 16350 | 7618 | -7098 | 0.246 | 634 | 0 | 0
12/11/2025 | 3 | 65988 | 17887 | -16544 | 16168 | 7655 | -7081 | 0.249 | 735 | 0 | 0
12/11/2025 | 4 | 66101 | 18155 | -16699 | 16447 | 7770 | -7147 | 0.253 | 760 | 0 | 0
12/11/2025 | 5 | 68418 | 18287 | -16737 | 17238 | 7827 | -7164 | 0.256 | 624 | 0 | 0
12/11/2025 | 6 | 73489 | 18564 | -16870 | 18134 | 7946 | -7220 | 0.251 | 174 | 0 | 0
12/11/2025 | 7 | 80135 | 16898 | -15810 | 19213 | 7232 | -6767 | 0.242 | 306 | 0 | 0
12/11/2025 | 8 | 82867 | 17137 | -16111 | 18464 | 7334 | -6896 | 0.225 | 692 | 0 | 0
12/11/2025 | 9 | 82140 | 15514 | -14900 | 15647 | 6640 | -6377 | 0.192 | 756 | 8 | 0.011
12/11/2025 | 10 | 80594 | 14874 | -14455 | 14756 | 6366 | -6187 | 0.184 | 464 | 0 | 0
12/11/2025 | 11 | 78840 | 14539 | -14007 | 14622 | 6222 | -5995 | 0.187 | 263 | 0 | 0
12/11/2025 | 12 | 78069 | 14105 | -13754 | 14682 | 6037 | -5887 | 0.189 | 0 | 0 | 0
12/11/2025 | 13 | 78182 | 14122 | -14094 | 14353 | 6044 | -6032 | 0.184 | 0 | 0 | 0
12/11/2025 | 14 | 78449 | 14137 | -14005 | 14051 | 6051 | -5994 | 0.18 | 195 | 0 | 0
12/11/2025 | 15 | 80372 | 14247 | -14169 | 14375 | 6098 | -6064 | 0.179 | 226 | 0 | 0
12/11/2025 | 16 | 83152 | 15254 | -14892 | 17209 | 6529 | -6374 | 0.208 | 645 | 0 | 0
12/11/2025 | 17 | 86761 | 16760 | -16198 | 19111 | 7173 | -6933 | 0.222 | 977 | 33 | 0.034
12/11/2025 | 18 | 88955 | 17368 | -16547 | 20019 | 7433 | -7082 | 0.227 | 1193 | 0 | 0
12/11/2025 | 19 | 88093 | 17391 | -16674 | 20122 | 7443 | -7137 | 0.23 | 1207 | 0 | 0
12/11/2025 | 20 | 86325 | 17109 | -16027 | 20006 | 7322 | -6860 | 0.234 | 1122 | 14 | 0.012
12/11/2025 | 21 | 84691 | 16672 | -15864 | 19705 | 7136 | -6790 | 0.235 | 1066 | 20 | 0.019
12/11/2025 | 22 | 81516 | 16589 | -15374 | 19551 | 7100 | -6580 | 0.243 | 1038 | 4 | 0.004
12/11/2025 | 23 | 76853 | 17396 | -15847 | 18958 | 7445 | -6782 | 0.25 | 935 | 0 | 0
12/11/2025 | 24 | 72660 | 17217 | -15616 | 18305 | 7369 | -6684 | 0.256 | 930 | 0 | 0
12/12/2025 | 1 | 70359 | 16565 | -15433 | 18255 | 7090 | -6605 | 0.262 | 1166 | 0 | 0
12/12/2025 | 2 | 68507 | 16402 | -15272 | 17909 | 7020 | -6536 | 0.264 | 1132 | 0 | 0
12/12/2025 | 3 | 67468 | 16465 | -15387 | 18052 | 7047 | -6586 | 0.27 | 1263 | 0 | 0
12/12/2025 | 4 | 68056 | 16534 | -15878 | 18794 | 7077 | -6796 | 0.278 | 1202 | 0 | 0
12/12/2025 | 5 | 70371 | 16434 | -15976 | 19213 | 7034 | -6838 | 0.274 | 1190 | 0 | 0
12/12/2025 | 6 | 75313 | 17070 | -16716 | 19900 | 7306 | -7154 | 0.265 | 763 | 0 | 0
12/12/2025 | 7 | 81437 | 15549 | -15598 | 20539 | 6655 | -6676 | 0.252 | 692 | 0 | 0
12/12/2025 | 8 | 84407 | 15077 | -15163 | 19655 | 6453 | -6490 | 0.233 | 925 | 42 | 0.045
12/12/2025 | 9 | 83416 | 13082 | -12929 | 17135 | 5599 | -5534 | 0.206 | 1115 | 69 | 0.062
12/12/2025 | 10 | 81448 | 12900 | -12773 | 16146 | 5521 | -5467 | 0.199 | 872 | 55 | 0.063
12/12/2025 | 11 | 79525 | 12841 | -12887 | 16019 | 5496 | -5515 | 0.201 | 452 | 1 | 0.002
12/12/2025 | 12 | 78118 | 12568 | -12536 | 15987 | 5379 | -5365 | 0.205 | 448 | 0 | 0
12/12/2025 | 13 | 77557 | 13051 | -12902 | 15882 | 5586 | -5522 | 0.205 | 422 | 9 | 0.021
12/12/2025 | 14 | 77771 | 13382 | -13165 | 15698 | 5728 | -5635 | 0.202 | 640 | 85 | 0.133
12/12/2025 | 15 | 78974 | 13604 | -13316 | 15750 | 5823 | -5699 | 0.2 | 949 | 179 | 0.189
12/12/2025 | 16 | 81303 | 14935 | -14169 | 18295 | 6392 | -6064 | 0.227 | 413 | 18 | 0.044
12/12/2025 | 17 | 85403 | 16324 | -15408 | 20264 | 6987 | -6595 | 0.239 | 709 | 0 | 0
12/12/2025 | 18 | 87571 | 16553 | -15801 | 20337 | 7085 | -6763 | 0.234 | 1143 | 4 | 0.003
12/12/2025 | 19 | 86133 | 16675 | -15779 | 19529 | 7137 | -6753 | 0.229 | 1276 | 1 | 0.001
12/12/2025 | 20 | 84275 | 16517 | -15490 | 19164 | 7069 | -6630 | 0.23 | 1248 | 32 | 0.026
12/12/2025 | 21 | 82714 | 16032 | -14986 | 18849 | 6862 | -6414 | 0.23 | 1841 | 110 | 0.06
12/12/2025 | 22 | 80461 | 15751 | -14488 | 18026 | 6742 | -6201 | 0.227 | 1637 | 158 | 0.097
12/12/2025 | 23 | 76996 | 16971 | -15454 | 18045 | 7264 | -6614 | 0.238 | 1158 | 22 | 0.019
12/12/2025 | 24 | 73545 | 16727 | -15508 | 17441 | 7159 | -6638 | 0.24 | 892 | 29 | 0.033
12/13/2025 | 1 | 70995 | 16385 | -15309 | 17022 | 7013 | -6552 | 0.243 | 873 | 86 | 0.099
12/13/2025 | 2 | 68965 | 16200 | -15260 | 16974 | 6933 | -6531 | 0.249 | 982 | 38 | 0.039
12/13/2025 | 3 | 67303 | 16396 | -15292 | 16866 | 7018 | -6545 | 0.253 | 871 | 30 | 0.034
12/13/2025 | 4 | 66972 | 16613 | -15427 | 16683 | 7110 | -6603 | 0.252 | 753 | 12 | 0.016
12/13/2025 | 5 | 67657 | 17032 | -15592 | 16887 | 7290 | -6673 | 0.253 | 795 | 0 | 0
12/13/2025 | 6 | 70161 | 17104 | -15813 | 17965 | 7320 | -6768 | 0.259 | 903 | 0 | 0
12/13/2025 | 7 | 74046 | 15678 | -15030 | 18586 | 6710 | -6433 | 0.253 | 988 | 0 | 0
12/13/2025 | 8 | 76420 | 15500 | -15265 | 17562 | 6634 | -6534 | 0.23 | 950 | 4 | 0.004
12/13/2025 | 9 | 77517 | 13510 | -13604 | 15320 | 5782 | -5823 | 0.197 | 1048 | 55 | 0.052
12/13/2025 | 10 | 76957 | 13024 | -13358 | 14743 | 5574 | -5717 | 0.191 | 866 | 0 | 0
12/13/2025 | 11 | 75408 | 13265 | -13413 | 14882 | 5678 | -5741 | 0.197 | 686 | 0 | 0
12/13/2025 | 12 | 73463 | 13154 | -13105 | 15167 | 5630 | -5609 | 0.207 | 415 | 0 | 0
12/13/2025 | 13 | 72608 | 13459 | -13433 | 15158 | 5760 | -5749 | 0.209 | 256 | 0 | 0
12/13/2025 | 14 | 72372 | 13676 | -13523 | 14778 | 5854 | -5788 | 0.205 | 64 | 0 | 0
12/13/2025 | 15 | 73966 | 13836 | -13634 | 14923 | 5922 | -5835 | 0.202 | 0 | 0 | 0
12/13/2025 | 16 | 77370 | 14557 | -14134 | 16926 | 6231 | -6049 | 0.22 | 131 | 0 | 0
12/13/2025 | 17 | 81500 | 15537 | -15142 | 18786 | 6650 | -6481 | 0.231 | 539 | 0 | 0
12/13/2025 | 18 | 83945 | 16170 | -15652 | 19127 | 6921 | -6699 | 0.229 | 1211 | 19 | 0.016
12/13/2025 | 19 | 82616 | 16110 | -14989 | 18741 | 6895 | -6416 | 0.23 | 1147 | 35 | 0.031
12/13/2025 | 20 | 81532 | 16166 | -15270 | 18843 | 6919 | -6535 | 0.233 | 1082 | 28 | 0.026
12/13/2025 | 21 | 80212 | 15864 | -14558 | 18464 | 6790 | -6230 | 0.233 | 1308 | 71 | 0.054
12/13/2025 | 22 | 78099 | 15829 | -14358 | 18488 | 6775 | -6146 | 0.24 | 1111 | 27 | 0.024
12/13/2025 | 23 | 74906 | 17134 | -15197 | 18221 | 7334 | -6504 | 0.248 | 832 | 20 | 0.024
12/13/2025 | 24 | 71678 | 16980 | -15145 | 17943 | 7268 | -6482 | 0.255 | 824 | 18 | 0.022
12/14/2025 | 1 | 69326 | 17893 | -15870 | 17512 | 7658 | -6792 | 0.258 | 900 | 12 | 0.013
12/14/2025 | 2 | 67452 | 17739 | -15649 | 17197 | 7592 | -6698 | 0.26 | 919 | 4 | 0.004
12/14/2025 | 3 | 66331 | 17641 | -15739 | 16780 | 7551 | -6736 | 0.258 | 912 | 2 | 0.002
12/14/2025 | 4 | 65804 | 17233 | -15249 | 16829 | 7376 | -6526 | 0.261 | 1037 | 9 | 0.009
12/14/2025 | 5 | 66571 | 16651 | -14663 | 17415 | 7127 | -6276 | 0.266 | 973 | 7 | 0.007
12/14/2025 | 6 | 68295 | 17077 | -15297 | 18039 | 7309 | -6547 | 0.268 | 840 | 3 | 0.004
12/14/2025 | 7 | 71509 | 16942 | -15591 | 18645 | 7251 | -6673 | 0.264 | 1071 | 7 | 0.007
12/14/2025 | 8 | 73336 | 17419 | -15972 | 17303 | 7455 | -6836 | 0.24 | 1246 | 14 | 0.011
12/14/2025 | 9 | 74274 | 16038 | -15006 | 15744 | 6864 | -6423 | 0.215 | 1023 | 14 | 0.014
12/14/2025 | 10 | 74705 | 16146 | -15138 | 15388 | 6911 | -6479 | 0.209 | 603 | 0 | 0
12/14/2025 | 11 | 74593 | 15319 | -14514 | 15737 | 6557 | -6212 | 0.213 | 784 | 0 | 0
12/14/2025 | 12 | 73824 | 15700 | -14862 | 15640 | 6720 | -6361 | 0.214 | 708 | 1 | 0.001
12/14/2025 | 13 | 73192 | 15535 | -14720 | 15177 | 6649 | -6300 | 0.21 | 891 | 39 | 0.044
12/14/2025 | 14 | 73199 | 15895 | -14934 | 14962 | 6803 | -6392 | 0.207 | 955 | 45 | 0.047
12/14/2025 | 15 | 75135 | 15667 | -14813 | 15428 | 6705 | -6340 | 0.208 | 601 | 40 | 0.067
12/14/2025 | 16 | 78352 | 16241 | -15183 | 17246 | 6951 | -6498 | 0.223 | 489 | 0 | 0
12/14/2025 | 17 | 82069 | 17684 | -16014 | 19026 | 7569 | -6854 | 0.236 | 1153 | 0 | 0
12/14/2025 | 18 | 85375 | 18651 | -16619 | 19375 | 7983 | -7113 | 0.232 | 398 | 0 | 0
12/14/2025 | 19 | 84705 | 18475 | -16383 | 19561 | 7908 | -7012 | 0.236 | 166 | 0 | 0
12/14/2025 | 20 | 83408 | 18509 | -16372 | 19618 | 7922 | -7008 | 0.24 | 580 | 0 | 0
12/14/2025 | 21 | 81850 | 18240 | -16426 | 19799 | 7807 | -7030 | 0.246 | 603 | 0 | 0
12/14/2025 | 22 | 79041 | 18314 | -16668 | 19838 | 7838 | -7134 | 0.255 | 453 | 0 | 0
12/14/2025 | 23 | 74411 | 18522 | -16567 | 19147 | 7927 | -7091 | 0.262 | 811 | 29 | 0.036
12/14/2025 | 24 | 70679 | 18280 | -16452 | 17739 | 7824 | -7042 | 0.255 | 928 | 1 | 0.001
12/15/2025 | 1 | 68275 | 17446 | -15766 | 16531 | 7467 | -6748 | 0.247 | 822 | 38 | 0.046
12/15/2025 | 2 | 66135 | 17869 | -16028 | 16465 | 7648 | -6860 | 0.254 | 553 | 0 | 0
12/15/2025 | 3 | 65023 | 17979 | -16201 | 16325 | 7695 | -6934 | 0.256 | 500 | 0 | 0
12/15/2025 | 4 | 65442 | 17872 | -15993 | 16570 | 7649 | -6845 | 0.258 | 438 | 0 | 0
12/15/2025 | 5 | 67970 | 18097 | -16172 | 17076 | 7746 | -6922 | 0.256 | 493 | 0 | 0
12/15/2025 | 6 | 73561 | 18234 | -16339 | 17688 | 7804 | -6993 | 0.245 | 133 | 0 | 0
12/15/2025 | 7 | 80104 | 17990 | -16600 | 18461 | 7699 | -7105 | 0.234 | 69 | 0 | 0
12/15/2025 | 8 | 83770 | 17869 | -16680 | 17760 | 7648 | -7139 | 0.215 | 651 | 67 | 0.103
12/15/2025 | 9 | 83062 | 15502 | -14710 | 14978 | 6635 | -6296 | 0.183 | 1029 | 103 | 0.1
12/15/2025 | 10 | 81658 | 15464 | -14592 | 13964 | 6618 | -6245 | 0.174 | 446 | 31 | 0.07
12/15/2025 | 11 | 80016 | 15553 | -14869 | 14079 | 6657 | -6364 | 0.178 | 488 | 49 | 0.1
12/15/2025 | 12 | 78882 | 16031 | -15602 | 14220 | 6861 | -6678 | 0.182 | 464 | 6 | 0.013
12/15/2025 | 13 | 78202 | 16491 | -16273 | 14080 | 7058 | -6965 | 0.181 | 390 | 12 | 0.031
12/15/2025 | 14 | 78409 | 16672 | -16407 | 13822 | 7135 | -7022 | 0.177 | 343 | 55 | 0.16
12/15/2025 | 15 | 80500 | 16481 | -16838 | 14348 | 7054 | -7207 | 0.177 | 654 | 112 | 0.171
12/15/2025 | 16 | 83671 | 17522 | -18021 | 16344 | 7499 | -7713 | 0.194 | 393 | 6 | 0.015
12/15/2025 | 17 | 87864 | 17958 | -18531 | 18110 | 7686 | -7932 | 0.205 | 788 | 0 | 0
12/15/2025 | 18 | 90001 | 18723 | -18319 | 18430 | 8014 | -7840 | 0.206 | 884 | 0 | 0
12/15/2025 | 19 | 89465 | 17228 | -16745 | 18342 | 7374 | -7167 | 0.206 | 835 | 46 | 0.055
12/15/2025 | 20 | 87886 | 18024 | -17622 | 17797 | 7714 | -7542 | 0.204 | 518 | 0 | 0
12/15/2025 | 21 | 85934 | 18087 | -17609 | 18085 | 7741 | -7536 | 0.212 | 680 | 0 | 0
12/15/2025 | 22 | 82140 | 18885 | -18128 | 17600 | 8082 | -7759 | 0.216 | 579 | 0 | 0
12/15/2025 | 23 | 76980 | 19324 | -18009 | 16731 | 8271 | -7708 | 0.221 | 378 | 0 | 0
12/15/2025 | 24 | 72630 | 19125 | -17804 | 16024 | 8185 | -7620 | 0.224 | 609 | 0 | 0
12/16/2025 | 1 | 69376 | 18569 | -16873 | 15245 | 7948 | -7222 | 0.225 | 593 | 0 | 0
12/16/2025 | 2 | 67697 | 18210 | -16653 | 15025 | 7794 | -7128 | 0.227 | 776 | 0 | 0
12/16/2025 | 3 | 66873 | 17848 | -16584 | 14892 | 7639 | -7098 | 0.226 | 982 | 3 | 0.003
12/16/2025 | 4 | 66905 | 18189 | -16728 | 15031 | 7785 | -7160 | 0.229 | 1008 | 0 | 0
12/16/2025 | 5 | 69391 | 18071 | -16614 | 15670 | 7734 | -7111 | 0.23 | 735 | 0 | 0
12/16/2025 | 6 | 74704 | 18001 | -16785 | 16953 | 7704 | -7184 | 0.23 | 162 | 0 | 0
12/16/2025 | 7 | 80993 | 16837 | -16074 | 17512 | 7206 | -6880 | 0.218 | 261 | 0 | 0
12/16/2025 | 8 | 84094 | 16816 | -16109 | 17058 | 7197 | -6895 | 0.205 | 937 | 42 | 0.045
12/16/2025 | 9 | 83384 | 15798 | -15300 | 15041 | 6761 | -6548 | 0.182 | 745 | 29 | 0.039
12/16/2025 | 10 | 81691 | 16008 | -15571 | 13447 | 6852 | -6664 | 0.166 | 498 | 6 | 0.012
12/16/2025 | 11 | 79440 | 16541 | -15937 | 13537 | 7080 | -6821 | 0.172 | 622 | 0 | 0
12/16/2025 | 12 | 77710 | 16692 | -15965 | 13271 | 7144 | -6833 | 0.173 | 627 | 0 | 0
12/16/2025 | 13 | 77138 | 16356 | -15746 | 12902 | 7001 | -6739 | 0.169 | 570 | 2 | 0.004
12/16/2025 | 14 | 77819 | 16220 | -15493 | 12847 | 6942 | -6631 | 0.168 | 416 | 31 | 0.075
12/16/2025 | 15 | 79868 | 16604 | -16114 | 12952 | 7106 | -6897 | 0.164 | 129 | 2 | 0.016
12/16/2025 | 16 | 83359 | 17066 | -16793 | 22973 | 7304 | -7188 | 0.276 | 58 | 0 | 0
12/16/2025 | 17 | 87144 | 17395 | -16969 | 17719 | 7445 | -7263 | 0.204 | 573 | 0 | 0
12/16/2025 | 18 | 89432 | 18036 | -17198 | 18338 | 7719 | -7361 | 0.207 | 989 | 0 | 0
12/16/2025 | 19 | 88223 | 18230 | -17177 | 18408 | 7803 | -7352 | 0.211 | 1094 | 0 | 0
12/16/2025 | 20 | 86397 | 17712 | -16595 | 18142 | 7581 | -7102 | 0.213 | 1083 | 0 | 0
12/16/2025 | 21 | 84613 | 17213 | -16370 | 17670 | 7368 | -7006 | 0.211 | 999 | 0 | 0
12/16/2025 | 22 | 81590 | 17697 | -16803 | 17073 | 7574 | -7192 | 0.212 | 1004 | 31 | 0.031
12/16/2025 | 23 | 76904 | 18817 | -17694 | 16306 | 8054 | -7573 | 0.215 | 812 | 0 | 0
12/16/2025 | 24 | 72416 | 19007 | -17568 | 15825 | 8135 | -7519 | 0.223 | 886 | 0 | 0
12/17/2025 | 1 | 69535 | 18497 | -16832 | 15255 | 7917 | -7204 | 0.224 | 856 | 0 | 0
12/17/2025 | 2 | 67052 | 18267 | -16671 | 14637 | 7818 | -7135 | 0.223 | 890 | 0 | 0
12/17/2025 | 3 | 65106 | 18199 | -16523 | 14313 | 7789 | -7072 | 0.225 | 736 | 20 | 0.027
12/17/2025 | 4 | 65864 | 14709 | -13312 | 15234 | 6296 | -5698 | 0.235 | 287 | 0 | 0
12/17/2025 | 5 | 67893 | 14107 | -12747 | 15688 | 6038 | -5456 | 0.235 | 270 | 0 | 0
12/17/2025 | 6 | 72765 | 14695 | -13125 | 16459 | 6290 | -5617 | 0.23 | 416 | 0 | 0
12/17/2025 | 7 | 79733 | 13781 | -12830 | 16464 | 5898 | -5491 | 0.209 | 894 | 38 | 0.043
12/17/2025 | 8 | 82900 | 16385 | -15762 | 15803 | 7013 | -6746 | 0.192 | 1235 | 177 | 0.143
12/17/2025 | 9 | 82273 | 16179 | -15748 | 13574 | 6924 | -6740 | 0.166 | 725 | 52 | 0.072
12/17/2025 | 10 | 80908 | 16309 | -16065 | 13297 | 6980 | -6876 | 0.165 | 404 | 0 | 0
12/17/2025 | 11 | 78919 | 16058 | -15744 | 12698 | 6873 | -6738 | 0.162 | 508 | 0 | 0
12/17/2025 | 12 | 76866 | 16179 | -15859 | 12214 | 6925 | -6788 | 0.16 | 63 | 0 | 0
12/17/2025 | 13 | 75999 | 16390 | -16203 | 11620 | 7015 | -6935 | 0.154 | 0 | 0 | 0
12/17/2025 | 14 | 76845 | 16317 | -16233 | 11562 | 6984 | -6948 | 0.151 | 0 | 0 | 0
12/17/2025 | 15 | 78899 | 16097 | -15983 | 11511 | 6889 | -6840 | 0.146 | 0 | 0 | 0
12/17/2025 | 16 | 81606 | 16470 | -16250 | 12193 | 7049 | -6955 | 0.15 | 509 | 0 | 0
12/17/2025 | 17 | 86210 | 16630 | -16301 | 14348 | 7118 | -6977 | 0.167 | 929 | 3 | 0.003
12/17/2025 | 18 | 89713 | 17142 | -16905 | 15328 | 7337 | -7235 | 0.172 | 740 | 0 | 0
12/17/2025 | 19 | 89321 | 17290 | -17007 | 15729 | 7400 | -7279 | 0.177 | 1008 | 0 | 0
12/17/2025 | 20 | 88274 | 16467 | -15947 | 15663 | 7048 | -6825 | 0.179 | 1222 | 0 | 0
12/17/2025 | 21 | 86524 | 16437 | -15834 | 15372 | 7035 | -6777 | 0.179 | 1189 | 0 | 0
12/17/2025 | 22 | 83242 | 16100 | -15381 | 15226 | 6890 | -6583 | 0.185 | 1063 | 0 | 0
12/17/2025 | 23 | 79136 | 16674 | -16256 | 14956 | 7137 | -6958 | 0.19 | 1133 | 4 | 0.004
12/17/2025 | 24 | 74574 | 16958 | -16246 | 14673 | 7258 | -6953 | 0.199 | 1068 | 5 | 0.005
12/18/2025 | 1 | 72014 | 16243 | -15283 | 15021 | 6952 | -6541 | 0.211 | 1082 | 0 | 0
12/18/2025 | 2 | 69989 | 16283 | -15196 | 14971 | 6969 | -6504 | 0.217 | 977 | 0 | 0
12/18/2025 | 3 | 68659 | 16264 | -15233 | 15057 | 6961 | -6520 | 0.222 | 986 | 0 | 0
12/18/2025 | 4 | 69104 | 16058 | -15212 | 15305 | 6873 | -6511 | 0.224 | 934 | 0 | 0
12/18/2025 | 5 | 71485 | 16604 | -15670 | 15787 | 7106 | -6707 | 0.224 | 572 | 0 | 0
12/18/2025 | 6 | 75958 | 16306 | -15269 | 16607 | 6979 | -6535 | 0.221 | 483 | 0 | 0
12/18/2025 | 7 | 81742 | 15463 | -14158 | 16738 | 6618 | -6060 | 0.208 | 556 | 0 | 0
12/18/2025 | 8 | 84870 | 15043 | -13848 | 16291 | 6438 | -5927 | 0.195 | 766 | 13 | 0.017
12/18/2025 | 9 | 85107 | 14505 | -13619 | 15982 | 6208 | -5829 | 0.19 | 630 | 0 | 0
12/18/2025 | 10 | 82940 | 14258 | -13245 | 15482 | 6102 | -5669 | 0.19 | 514 | 0 | 0
12/18/2025 | 11 | 82373 | 14079 | -13213 | 15320 | 6026 | -5655 | 0.189 | 213 | 0 | 0
12/18/2025 | 12 | 80953 | 14237 | -13483 | 14984 | 6094 | -5771 | 0.187 | 340 | 0 | 0
12/18/2025 | 13 | 81229 | 14132 | -13443 | 14687 | 6048 | -5754 | 0.183 | 318 | 1 | 0.003
12/18/2025 | 14 | 81466 | 13769 | -13076 | 14384 | 5893 | -5597 | 0.179 | 438 | 1 | 0.002
12/18/2025 | 15 | 82955 | 13571 | -13060 | 14487 | 5808 | -5590 | 0.176 | 524 | 20 | 0.038
12/18/2025 | 16 | 85752 | 14724 | -14213 | 16016 | 6302 | -6083 | 0.188 | 278 | 0 | 0
12/18/2025 | 17 | 88963 | 15916 | -15339 | 17143 | 6812 | -6565 | 0.194 | 716 | 0 | 0
12/18/2025 | 18 | 90486 | 16352 | -15448 | 17051 | 6999 | -6612 | 0.191 | 784 | 0 | 0
12/18/2025 | 19 | 88749 | 16727 | -15449 | 16945 | 7159 | -6612 | 0.194 | 950 | 3 | 0.003
12/18/2025 | 20 | 86145 | 16862 | -15174 | 16555 | 7217 | -6494 | 0.197 | 1166 | 28 | 0.024
12/18/2025 | 21 | 83697 | 17403 | -15312 | 16129 | 7448 | -6554 | 0.198 | 1254 | 52 | 0.041
12/18/2025 | 22 | 81291 | 17460 | -15431 | 16368 | 7473 | -6605 | 0.207 | 995 | 0 | 0
12/18/2025 | 23 | 77372 | 18474 | -16580 | 16160 | 7907 | -7096 | 0.214 | 527 | 0 | 0
12/18/2025 | 24 | 73229 | 18678 | -16768 | 15131 | 7994 | -7177 | 0.212 | 739 | 0 | 0
12/19/2025 | 1 | 72000 | 16813 | -16019 | 14590 | 7196 | -6856 | 0.205 | 912 | 0 | 0
12/19/2025 | 2 | 70243 | 17106 | -16359 | 14242 | 7321 | -7002 | 0.205 | 831 | 0 | 0
12/19/2025 | 3 | 69342 | 17333 | -16676 | 13998 | 7419 | -7137 | 0.204 | 648 | 0 | 0
12/19/2025 | 4 | 69580 | 16918 | -16441 | 14022 | 7241 | -7037 | 0.203 | 1066 | 0 | 0
12/19/2025 | 5 | 71769 | 16895 | -16356 | 14353 | 7231 | -7000 | 0.202 | 737 | 0 | 0
12/19/2025 | 6 | 76338 | 17168 | -16591 | 15008 | 7348 | -7101 | 0.198 | 5 | 0 | 0
12/19/2025 | 7 | 82707 | 16120 | -15929 | 15699 | 6899 | -6817 | 0.19 | 35 | 0 | 0
12/19/2025 | 8 | 86265 | 15885 | -15788 | 15764 | 6799 | -6758 | 0.183 | 175 | 0 | 0
12/19/2025 | 9 | 85942 | 14573 | -14703 | 14585 | 6237 | -6293 | 0.169 | 0 | 0 | 0
12/19/2025 | 10 | 84718 | 14509 | -14428 | 14121 | 6210 | -6175 | 0.167 | 0 | 0 | 0
12/19/2025 | 11 | 82811 | 14027 | -14173 | 13947 | 6004 | -6066 | 0.168 | 0 | 0 | 0
12/19/2025 | 12 | 80964 | 13915 | -13811 | 13266 | 5955 | -5911 | 0.164 | 0 | 0 | 0
12/19/2025 | 13 | 80973 | 14100 | -14220 | 13310 | 6035 | -6086 | 0.164 | 0 | 0 | 0
12/19/2025 | 14 | 82063 | 14174 | -14871 | 12988 | 6067 | -6364 | 0.156 | 0 | 0 | 0
12/19/2025 | 15 | 83574 | 13789 | -14622 | 12882 | 5902 | -6258 | 0.151 | 83 | 0 | 0
12/19/2025 | 16 | 86131 | 13922 | -15052 | 14064 | 5959 | -6442 | 0.16 | 0 | 0 | 0
12/19/2025 | 17 | 89909 | 14636 | -15684 | 15168 | 6265 | -6712 | 0.166 | 0 | 0 | 0
12/19/2025 | 18 | 92546 | 14597 | -15641 | 15572 | 6248 | -6694 | 0.165 | 319 | 0 | 0
12/19/2025 | 19 | 90738 | 14636 | -15455 | 15766 | 6264 | -6615 | 0.171 | 459 | 0 | 0
12/19/2025 | 20 | 88907 | 13942 | -14647 | 16052 | 5967 | -6269 | 0.179 | 337 | 0 | 0
12/19/2025 | 21 | 86984 | 13941 | -14474 | 16048 | 5966 | -6194 | 0.183 | 266 | 0 | 0
12/19/2025 | 22 | 84387 | 13773 | -14395 | 15723 | 5895 | -6161 | 0.185 | 28 | 0 | 0
12/19/2025 | 23 | 80979 | 15020 | -15517 | 15549 | 6428 | -6641 | 0.191 | 0 | 0 | 0
12/19/2025 | 24 | 76898 | 15223 | -15544 | 15085 | 6516 | -6652 | 0.195 | 2 | 0 | 0
12/20/2025 | 1 | 74244 | 15178 | -15537 | 14213 | 6496 | -6650 | 0.19 | 448 | 0 | 0
12/20/2025 | 2 | 71817 | 15531 | -15839 | 13823 | 6648 | -6779 | 0.191 | 411 | 0 | 0
12/20/2025 | 3 | 70020 | 15475 | -15678 | 13364 | 6623 | -6711 | 0.19 | 587 | 0 | 0
12/20/2025 | 4 | 69756 | 15657 | -15830 | 13330 | 6702 | -6776 | 0.191 | 254 | 0 | 0
12/20/2025 | 5 | 70657 | 15380 | -15716 | 13411 | 6582 | -6726 | 0.189 | 136 | 0 | 0
12/20/2025 | 6 | 72893 | 15754 | -16025 | 13717 | 6743 | -6859 | 0.187 | 0 | 0 | 0
12/20/2025 | 7 | 76763 | 14257 | -15058 | 13765 | 6102 | -6444 | 0.177 | 0 | 0 | 0
12/20/2025 | 8 | 79882 | 14314 | -15530 | 13452 | 6126 | -6647 | 0.164 | 0 | 0 | 0
12/20/2025 | 9 | 80725 | 13699 | -14821 | 12875 | 5863 | -6343 | 0.156 | 0 | 0 | 0
12/20/2025 | 10 | 79743 | 13303 | -14280 | 12002 | 5694 | -6112 | 0.147 | 0 | 0 | 0
12/20/2025 | 11 | 78814 | 13224 | -14046 | 11443 | 5660 | -6012 | 0.142 | 0 | 0 | 0
12/20/2025 | 12 | 77406 | 13210 | -14016 | 11632 | 5654 | -5998 | 0.147 | 0 | 0 | 0
12/20/2025 | 13 | 77047 | 13027 | -14279 | 11325 | 5576 | -6111 | 0.142 | 0 | 0 | 0
12/20/2025 | 14 | 77396 | 12836 | -14144 | 11161 | 5494 | -6053 | 0.139 | 0 | 0 | 0
12/20/2025 | 15 | 78740 | 12733 | -13647 | 11634 | 5450 | -5841 | 0.144 | 0 | 0 | 0
12/20/2025 | 16 | 81946 | 12866 | -13761 | 13942 | 5507 | -5890 | 0.167 | 0 | 0 | 0
12/20/2025 | 17 | 86051 | 13753 | -14656 | 15955 | 5886 | -6273 | 0.183 | 864 | 0 | 0
12/20/2025 | 18 | 87797 | 14046 | -14569 | 16612 | 6012 | -6236 | 0.188 | 964 | 0 | 0
12/20/2025 | 19 | 85999 | 13657 | -13768 | 16478 | 5845 | -5892 | 0.191 | 1359 | 1 | 0.001
12/20/2025 | 20 | 83478 | 14031 | -13280 | 15930 | 6005 | -5684 | 0.193 | 1419 | 0 | 0
12/20/2025 | 21 | 81458 | 14310 | -13260 | 16043 | 6125 | -5675 | 0.2 | 1430 | 0 | 0
12/20/2025 | 22 | 79700 | 14538 | -13537 | 15898 | 6222 | -5794 | 0.202 | 1494 | 0 | 0
12/20/2025 | 23 | 76356 | 15767 | -14530 | 15840 | 6748 | -6219 | 0.211 | 1146 | 0 | 0
12/20/2025 | 24 | 72741 | 15992 | -14648 | 15614 | 6845 | -6270 | 0.219 | 1179 | 12 | 0.01
12/21/2025 | 1 | 70174 | 15519 | -14137 | 15178 | 6642 | -6051 | 0.22 | 992 | 23 | 0.023
12/21/2025 | 2 | 67989 | 15599 | -14118 | 14909 | 6676 | -6043 | 0.224 | 1263 | 9 | 0.007
12/21/2025 | 3 | 66510 | 15715 | -14120 | 14906 | 6726 | -6043 | 0.229 | 1109 | 3 | 0.003
12/21/2025 | 4 | 65943 | 15630 | -14049 | 14718 | 6690 | -6013 | 0.228 | 928 | 2 | 0.002
12/21/2025 | 5 | 66637 | 15904 | -14341 | 14767 | 6807 | -6137 | 0.226 | 748 | 2 | 0.003
12/21/2025 | 6 | 68560 | 15963 | -14531 | 15220 | 6832 | -6219 | 0.226 | 792 | 1 | 0.001
12/21/2025 | 7 | 72089 | 15636 | -14958 | 15613 | 6692 | -6402 | 0.219 | 732 | 0 | 0
12/21/2025 | 8 | 74148 | 15079 | -14676 | 14956 | 6454 | -6281 | 0.203 | 512 | 0 | 0
12/21/2025 | 9 | 74929 | 14481 | -14376 | 13841 | 6198 | -6153 | 0.185 | 0 | 0 | 0
12/21/2025 | 10 | 74945 | 13750 | -13807 | 13111 | 5885 | -5910 | 0.175 | 0 | 0 | 0
12/21/2025 | 11 | 75196 | 13712 | -13962 | 12812 | 5869 | -5976 | 0.17 | 0 | 0 | 0
12/21/2025 | 12 | 74994 | 13514 | -14113 | 12841 | 5784 | -6040 | 0.169 | 0 | 0 | 0
12/21/2025 | 13 | 75404 | 13150 | -14108 | 12663 | 5628 | -6038 | 0.165 | 0 | 0 | 0
12/21/2025 | 14 | 76108 | 13067 | -14213 | 12590 | 5593 | -6083 | 0.161 | 0 | 0 | 0
12/21/2025 | 15 | 78193 | 13127 | -14226 | 12888 | 5618 | -6089 | 0.161 | 0 | 0 | 0
12/21/2025 | 16 | 81973 | 13128 | -14230 | 14580 | 5619 | -6090 | 0.174 | 0 | 0 | 0
12/21/2025 | 17 | 85750 | 13887 | -14878 | 16245 | 5944 | -6368 | 0.187 | 966 | 0 | 0
12/21/2025 | 18 | 88036 | 14474 | -15151 | 16409 | 6195 | -6485 | 0.185 | 1130 | 2 | 0.002
12/21/2025 | 19 | 86458 | 14567 | -15058 | 16324 | 6235 | -6445 | 0.187 | 1112 | 0 | 0
12/21/2025 | 20 | 85217 | 14592 | -15040 | 16152 | 6245 | -6437 | 0.188 | 1055 | 19 | 0.018
12/21/2025 | 21 | 83451 | 14684 | -15190 | 15939 | 6285 | -6501 | 0.19 | 1079 | 12 | 0.011
12/21/2025 | 22 | 80936 | 14699 | -15428 | 15752 | 6292 | -6603 | 0.193 | 989 | 7 | 0.007
12/21/2025 | 23 | 77062 | 15264 | -15787 | 15198 | 6533 | -6757 | 0.196 | 1060 | 2 | 0.002
12/21/2025 | 24 | 73420 | 15866 | -16165 | 14782 | 6791 | -6919 | 0.2 | 1081 | 5 | 0.005
12/22/2025 | 1 | 70726 | 16178 | -16271 | 14618 | 6924 | -6964 | 0.206 | 1194 | 93 | 0.078
12/22/2025 | 2 | 68884 | 16074 | -16169 | 13904 | 6880 | -6921 | 0.202 | 1172 | 32 | 0.027
12/22/2025 | 3 | 68081 | 16303 | -16461 | 13868 | 6978 | -7046 | 0.203 | 1136 | 29 | 0.026
12/22/2025 | 4 | 68658 | 16010 | -16435 | 13892 | 6852 | -7034 | 0.201 | 1055 | 15 | 0.014
12/22/2025 | 5 | 71117 | 15818 | -16115 | 14260 | 6770 | -6897 | 0.2 | 1030 | 1 | 0.001
12/22/2025 | 6 | 75964 | 15278 | -15942 | 15321 | 6539 | -6823 | 0.2 | 1136 | 0 | 0
12/22/2025 | 7 | 81169 | 14754 | -15459 | 15773 | 6315 | -6617 | 0.192 | 1180 | 1 | 0.001
12/22/2025 | 8 | 84308 | 14690 | -15184 | 15459 | 6287 | -6499 | 0.182 | 892 | 0 | 0
12/22/2025 | 9 | 84417 | 14187 | -14736 | 14436 | 6072 | -6307 | 0.169 | 460 | 0 | 0
12/22/2025 | 10 | 83658 | 14603 | -15048 | 13627 | 6250 | -6441 | 0.161 | 8 | 0 | 0
12/22/2025 | 11 | 82062 | 14806 | -15133 | 13144 | 6337 | -6477 | 0.159 | 0 | 0 | 0
12/22/2025 | 12 | 80168 | 14697 | -14950 | 12698 | 6291 | -6398 | 0.158 | 0 | 0 | 0
12/22/2025 | 13 | 79470 | 14440 | -14701 | 12501 | 6180 | -6292 | 0.156 | 0 | 0 | 0
12/22/2025 | 14 | 81965 | 13787 | -14386 | 13224 | 5901 | -6157 | 0.159 | 9 | 0 | 0
12/22/2025 | 15 | 84338 | 13634 | -14872 | 14342 | 5835 | -6365 | 0.166 | 128 | 0 | 0
12/22/2025 | 16 | 86896 | 14042 | -15014 | 16309 | 6010 | -6426 | 0.185 | 939 | 0 | 0
12/22/2025 | 17 | 89451 | 14600 | -15368 | 17389 | 6249 | -6578 | 0.192 | 832 | 0 | 0
12/22/2025 | 18 | 91556 | 15101 | -15831 | 17980 | 6463 | -6776 | 0.195 | 1062 | 0 | 0
12/22/2025 | 19 | 90013 | 14819 | -15502 | 18057 | 6342 | -6635 | 0.199 | 1166 | 0 | 0
12/22/2025 | 20 | 88354 | 14748 | -15240 | 17806 | 6312 | -6522 | 0.2 | 1067 | 0 | 0
12/22/2025 | 21 | 86671 | 14802 | -15300 | 17866 | 6336 | -6548 | 0.205 | 1272 | 8 | 0.006
12/22/2025 | 22 | 83233 | 14897 | -15013 | 17457 | 6376 | -6426 | 0.209 | 1571 | 92 | 0.059
12/22/2025 | 23 | 78870 | 15945 | -15965 | 17117 | 6824 | -6833 | 0.217 | 1261 | 44 | 0.035
12/22/2025 | 24 | 74559 | 15933 | -15656 | 16620 | 6819 | -6701 | 0.224 | 1475 | 98 | 0.066
12/23/2025 | 1 | 71483 | 16484 | -15701 | 16463 | 7055 | -6720 | 0.232 | 1108 | 29 | 0.026
12/23/2025 | 2 | 69094 | 17016 | -15860 | 16141 | 7283 | -6788 | 0.237 | 1008 | 0 | 0
12/23/2025 | 3 | 67648 | 16911 | -15634 | 15650 | 7238 | -6692 | 0.235 | 984 | 10 | 0.01
12/23/2025 | 4 | 67870 | 16762 | -15416 | 15243 | 7174 | -6598 | 0.229 | 900 | 0 | 0
12/23/2025 | 5 | 69980 | 16462 | -15243 | 15708 | 7046 | -6524 | 0.228 | 842 | 0 | 0
12/23/2025 | 6 | 74257 | 16481 | -15364 | 16330 | 7054 | -6576 | 0.223 | 630 | 0 | 0
12/23/2025 | 7 | 79651 | 16291 | -15419 | 16773 | 6973 | -6599 | 0.213 | 1136 | 0 | 0
12/23/2025 | 8 | 83598 | 16027 | -15157 | 16944 | 6859 | -6487 | 0.205 | 931 | 7 | 0.008
12/23/2025 | 9 | 84658 | 15605 | -14644 | 16768 | 6679 | -6267 | 0.201 | 717 | 8 | 0.011
12/23/2025 | 10 | 84726 | 15473 | -14180 | 16598 | 6622 | -6069 | 0.199 | 728 | 39 | 0.054
12/23/2025 | 11 | 84560 | 15478 | -14166 | 16242 | 6625 | -6063 | 0.196 | 1091 | 189 | 0.173
12/23/2025 | 12 | 83116 | 15059 | -13833 | 15692 | 6446 | -5920 | 0.192 | 773 | 75 | 0.097
12/23/2025 | 13 | 82338 | 15360 | -14182 | 15486 | 6574 | -6070 | 0.191 | 642 | 34 | 0.053
12/23/2025 | 14 | 83655 | 15357 | -14259 | 16116 | 6573 | -6103 | 0.196 | 806 | 75 | 0.093
12/23/2025 | 15 | 83815 | 15282 | -14259 | 16604 | 6541 | -6103 | 0.201 | 966 | 77 | 0.08
12/23/2025 | 16 | 86146 | 14909 | -14237 | 17588 | 6381 | -6094 | 0.206 | 784 | 26 | 0.033
12/23/2025 | 17 | 89139 | 15349 | -14729 | 17993 | 6570 | -6304 | 0.203 | 869 | 4 | 0.005
12/23/2025 | 18 | 90411 | 15290 | -14776 | 18148 | 6544 | -6324 | 0.202 | 1099 | 23 | 0.021
12/23/2025 | 19 | 88288 | 15564 | -15073 | 17402 | 6661 | -6451 | 0.198 | 852 | 4 | 0.005
12/23/2025 | 20 | 86470 | 15505 | -14835 | 17413 | 6636 | -6350 | 0.203 | 876 | 0 | 0
12/23/2025 | 21 | 84358 | 15662 | -14942 | 17017 | 6703 | -6396 | 0.204 | 816 | 7 | 0.009
12/23/2025 | 22 | 81780 | 15611 | -14788 | 16555 | 6682 | -6329 | 0.205 | 1067 | 94 | 0.088
12/23/2025 | 23 | 78200 | 15449 | -14679 | 15935 | 6612 | -6283 | 0.206 | 1216 | 48 | 0.039
12/23/2025 | 24 | 74409 | 15490 | -14733 | 15168 | 6629 | -6306 | 0.206 | 1071 | 22 | 0.021
12/24/2025 | 1 | 71485 | 15756 | -14937 | 15019 | 6744 | -6393 | 0.213 | 615 | 0 | 0
12/24/2025 | 2 | 68835 | 15832 | -14970 | 14583 | 6776 | -6407 | 0.215 | 622 | 0 | 0
12/24/2025 | 3 | 67336 | 16176 | -15319 | 13844 | 6923 | -6556 | 0.208 | 598 | 0 | 0
12/24/2025 | 4 | 67006 | 16323 | -15479 | 13708 | 6986 | -6625 | 0.207 | 574 | 0 | 0
12/24/2025 | 5 | 68741 | 16341 | -15809 | 14098 | 6994 | -6766 | 0.207 | 696 | 46 | 0.066
12/24/2025 | 6 | 71703 | 16284 | -15785 | 14533 | 6970 | -6756 | 0.204 | 696 | 20 | 0.029
12/24/2025 | 7 | 75512 | 16409 | -15922 | 14936 | 7023 | -6815 | 0.199 | 846 | 0 | 0
12/24/2025 | 8 | 79105 | 16169 | -15918 | 15016 | 6920 | -6813 | 0.191 | 888 | 0 | 0
12/24/2025 | 9 | 81133 | 16364 | -15880 | 15361 | 7004 | -6797 | 0.191 | 585 | 0 | 0
12/24/2025 | 10 | 83427 | 16313 | -15959 | 15775 | 6982 | -6831 | 0.19 | 882 | 0 | 0
12/24/2025 | 11 | 84330 | 16199 | -16027 | 15780 | 6934 | -6860 | 0.188 | 1202 | 0 | 0
12/24/2025 | 12 | 83735 | 15915 | -15791 | 15203 | 6811 | -6759 | 0.182 | 926 | 46 | 0.05
12/24/2025 | 13 | 83057 | 15924 | -15714 | 14861 | 6816 | -6726 | 0.18 | 711 | 114 | 0.16
12/24/2025 | 14 | 82436 | 15844 | -15733 | 14682 | 6781 | -6734 | 0.178 | 861 | 165 | 0.192
12/24/2025 | 15 | 81818 | 16043 | -15963 | 15006 | 6866 | -6832 | 0.184 | 591 | 79 | 0.134
12/24/2025 | 16 | 82276 | 16347 | -16167 | 15819 | 6997 | -6920 | 0.193 | 550 | 0 | 0
12/24/2025 | 17 | 84042 | 16813 | -16608 | 15892 | 7196 | -7108 | 0.19 | 837 | 0 | 0
12/24/2025 | 18 | 84442 | 16866 | -16561 | 15404 | 7219 | -7088 | 0.183 | 923 | 12 | 0.013
12/24/2025 | 19 | 81887 | 16791 | -16375 | 14651 | 7187 | -7008 | 0.18 | 991 | 44 | 0.044
12/24/2025 | 20 | 79760 | 16597 | -16070 | 14362 | 7104 | -6878 | 0.182 | 898 | 1 | 0.001
12/24/2025 | 21 | 78371 | 16627 | -16060 | 14565 | 7116 | -6874 | 0.188 | 979 | 0 | 0
12/24/2025 | 22 | 76440 | 16228 | -15694 | 14630 | 6946 | -6717 | 0.193 | 922 | 0 | 0
12/24/2025 | 23 | 74060 | 16204 | -15804 | 14249 | 6935 | -6764 | 0.194 | 732 | 0 | 0
12/24/2025 | 24 | 71374 | 16030 | -15707 | 13825 | 6861 | -6723 | 0.195 | 326 | 0 | 0
12/25/2025 | 1 | 69706 | 15185 | -15367 | 12956 | 6499 | -6577 | 0.185 | 0 | 0 | 0
12/25/2025 | 2 | 67913 | 14817 | -15054 | 12641 | 6342 | -6443 | 0.185 | 76 | 0 | 0
12/25/2025 | 3 | 66630 | 14570 | -14845 | 12154 | 6236 | -6354 | 0.181 | 477 | 0 | 0
12/25/2025 | 4 | 66806 | 14360 | -14723 | 12014 | 6146 | -6302 | 0.178 | 388 | 0 | 0
12/25/2025 | 5 | 67260 | 14574 | -14953 | 11982 | 6238 | -6400 | 0.177 | 142 | 0 | 0
12/25/2025 | 6 | 69035 | 14539 | -14878 | 12192 | 6223 | -6368 | 0.175 | 109 | 0 | 0
12/25/2025 | 7 | 71530 | 14794 | -15226 | 12129 | 6332 | -6517 | 0.168 | 0 | 0 | 0
12/25/2025 | 8 | 73859 | 14392 | -14973 | 11447 | 6160 | -6408 | 0.153 | 0 | 0 | 0
12/25/2025 | 9 | 74422 | 14115 | -14795 | 10535 | 6041 | -6332 | 0.139 | 0 | 0 | 0
12/25/2025 | 10 | 73983 | 13653 | -14411 | 9986 | 5843 | -6168 | 0.132 | 0 | 0 | 0
12/25/2025 | 11 | 73466 | 13316 | -14159 | 9900 | 5699 | -6060 | 0.131 | 0 | 0 | 0
12/25/2025 | 12 | 72826 | 13070 | -13932 | 9878 | 5594 | -5963 | 0.132 | 0 | 0 | 0
12/25/2025 | 13 | 72738 | 12880 | -13866 | 9885 | 5512 | -5935 | 0.132 | 0 | 0 | 0
12/25/2025 | 14 | 72995 | 13138 | -13966 | 9958 | 5623 | -5977 | 0.133 | 0 | 0 | 0
12/25/2025 | 15 | 74919 | 12796 | -13692 | 10127 | 5477 | -5860 | 0.132 | 7 | 0 | 0
12/25/2025 | 16 | 77265 | 13521 | -14369 | 11431 | 5787 | -6150 | 0.145 | 166 | 0 | 0
12/25/2025 | 17 | 80592 | 14894 | -15702 | 12899 | 6375 | -6720 | 0.157 | 794 | 0 | 0
12/25/2025 | 18 | 81569 | 15409 | -16049 | 13113 | 6595 | -6869 | 0.159 | 830 | 0 | 0
12/25/2025 | 19 | 79428 | 15607 | -15825 | 13147 | 6680 | -6773 | 0.165 | 423 | 0 | 0
12/25/2025 | 20 | 78309 | 15337 | -15311 | 13304 | 6564 | -6553 | 0.17 | 806 | 0 | 0
12/25/2025 | 21 | 77173 | 14997 | -14961 | 13337 | 6419 | -6403 | 0.173 | 864 | 0 | 0
12/25/2025 | 22 | 75709 | 14765 | -14853 | 13150 | 6319 | -6357 | 0.173 | 596 | 0 | 0
12/25/2025 | 23 | 72405 | 15054 | -14959 | 12847 | 6443 | -6403 | 0.178 | 591 | 0 | 0
12/25/2025 | 24 | 70126 | 14916 | -14947 | 12656 | 6384 | -6397 | 0.18 | 85 | 0 | 0
12/26/2025 | 1 | 68709 | 15434 | -15648 | 12680 | 6606 | -6698 | 0.184 | 564 | 0 | 0
12/26/2025 | 2 | 66858 | 15556 | -15787 | 12239 | 6658 | -6757 | 0.182 | 376 | 0 | 0
12/26/2025 | 3 | 66080 | 15604 | -15907 | 12034 | 6678 | -6808 | 0.181 | 105 | 0 | 0
12/26/2025 | 4 | 66538 | 15601 | -16061 | 12103 | 6677 | -6874 | 0.18 | 408 | 0 | 0
12/26/2025 | 5 | 68239 | 15640 | -16497 | 12190 | 6694 | -7061 | 0.175 | 56 | 0 | 0
12/26/2025 | 6 | 71135 | 16150 | -16872 | 12375 | 6912 | -7222 | 0.171 | 36 | 0 | 0
12/26/2025 | 7 | 74970 | 15507 | -16492 | 12587 | 6637 | -7059 | 0.164 | 699 | 0 | 0
12/26/2025 | 8 | 77095 | 15749 | -16635 | 11799 | 6740 | -7120 | 0.15 | 775 | 0 | 0
12/26/2025 | 9 | 78890 | 14918 | -16076 | 11292 | 6385 | -6881 | 0.139 | 569 | 0 | 0
12/26/2025 | 10 | 78814 | 14580 | -15935 | 10760 | 6240 | -6820 | 0.131 | 0 | 0 | 0
12/26/2025 | 11 | 78349 | 14111 | -15361 | 10411 | 6039 | -6575 | 0.128 | 0 | 0 | 0
12/26/2025 | 12 | 78390 | 13875 | -15224 | 10269 | 5939 | -6516 | 0.126 | 0 | 0 | 0
12/26/2025 | 13 | 79489 | 13642 | -15183 | 10342 | 5839 | -6498 | 0.124 | 0 | 0 | 0
12/26/2025 | 14 | 81015 | 13797 | -15262 | 10713 | 5905 | -6532 | 0.127 | 180 | 0 | 0
12/26/2025 | 15 | 81222 | 13992 | -15176 | 11079 | 5989 | -6495 | 0.132 | 372 | 21 | 0.056
12/26/2025 | 16 | 82651 | 15299 | -16002 | 12456 | 6548 | -6849 | 0.148 | 347 | 0 | 0
12/26/2025 | 17 | 85760 | 16246 | -16507 | 12922 | 6953 | -7065 | 0.15 | 651 | 0 | 0
12/26/2025 | 18 | 88076 | 16694 | -16698 | 13044 | 7145 | -7147 | 0.148 | 760 | 0 | 0
12/26/2025 | 19 | 87223 | 16524 | -16665 | 12743 | 7072 | -7132 | 0.146 | 648 | 0 | 0
12/26/2025 | 20 | 85344 | 16862 | -16878 | 12805 | 7217 | -7224 | 0.15 | 723 | 23 | 0.032
12/26/2025 | 21 | 83990 | 16487 | -16724 | 12752 | 7056 | -7158 | 0.151 | 730 | 5 | 0.007
12/26/2025 | 22 | 81342 | 16578 | -16801 | 12375 | 7096 | -7191 | 0.151 | 671 | 0 | 0
12/26/2025 | 23 | 78175 | 16880 | -17000 | 12444 | 7225 | -7276 | 0.159 | 466 | 0 | 0
12/26/2025 | 24 | 75017 | 16858 | -16947 | 12194 | 7215 | -7254 | 0.162 | 94 | 0 | 0
12/27/2025 | 1 | 72472 | 15701 | -15748 | 11663 | 6720 | -6740 | 0.161 | 215 | 0 | 0
12/27/2025 | 2 | 69939 | 15932 | -15914 | 11358 | 6819 | -6811 | 0.162 | 0 | 0 | 0
12/27/2025 | 3 | 68267 | 16219 | -15946 | 11208 | 6942 | -6825 | 0.165 | 0 | 0 | 0
12/27/2025 | 4 | 68107 | 15893 | -15394 | 11077 | 6802 | -6589 | 0.165 | 0 | 0 | 0
12/27/2025 | 5 | 69152 | 16215 | -15702 | 11233 | 6940 | -6720 | 0.164 | 0 | 0 | 0
12/27/2025 | 6 | 70954 | 16024 | -15539 | 11200 | 6858 | -6650 | 0.16 | 0 | 0 | 0
12/27/2025 | 7 | 74874 | 15244 | -15206 | 11609 | 6524 | -6508 | 0.155 | 47 | 0 | 0
12/27/2025 | 8 | 78144 | 15286 | -15664 | 11865 | 6542 | -6704 | 0.15 | 20 | 0 | 0
12/27/2025 | 9 | 78793 | 13716 | -14258 | 10301 | 5870 | -6102 | 0.129 | 0 | 0 | 0
12/27/2025 | 10 | 77663 | 13516 | -13876 | 9542 | 5785 | -5939 | 0.121 | 0 | 0 | 0
12/27/2025 | 11 | 76168 | 13338 | -13897 | 9399 | 5709 | -5948 | 0.121 | 0 | 0 | 0
12/27/2025 | 12 | 75530 | 13257 | -13890 | 9571 | 5674 | -5945 | 0.124 | 0 | 0 | 0
12/27/2025 | 13 | 74967 | 13130 | -13732 | 9518 | 5619 | -5877 | 0.125 | 0 | 0 | 0
12/27/2025 | 14 | 74969 | 12697 | -13183 | 9719 | 5434 | -5642 | 0.128 | 0 | 0 | 0
12/27/2025 | 15 | 76056 | 13600 | -14033 | 9979 | 5821 | -6006 | 0.13 | 0 | 0 | 0
12/27/2025 | 16 | 78827 | 13480 | -13677 | 11152 | 5770 | -5854 | 0.141 | 0 | 0 | 0
12/27/2025 | 17 | 83767 | 14451 | -14343 | 13031 | 6185 | -6139 | 0.156 | 538 | 0 | 0
12/27/2025 | 18 | 88381 | 14336 | -14374 | 13746 | 6136 | -6152 | 0.155 | 620 | 0 | 0
12/27/2025 | 19 | 87996 | 14390 | -14276 | 13819 | 6159 | -6110 | 0.157 | 480 | 0 | 0
12/27/2025 | 20 | 86893 | 14165 | -13943 | 13663 | 6062 | -5968 | 0.158 | 540 | 0 | 0
12/27/2025 | 21 | 85441 | 14007 | -13787 | 13630 | 5995 | -5901 | 0.16 | 1042 | 21 | 0.02
12/27/2025 | 22 | 83412 | 13795 | -13778 | 13749 | 5904 | -5897 | 0.165 | 1034 | 0 | 0
12/27/2025 | 23 | 80160 | 14984 | -14803 | 14038 | 6413 | -6336 | 0.176 | 767 | 0 | 0
12/27/2025 | 24 | 76612 | 15073 | -14620 | 14002 | 6451 | -6257 | 0.184 | 768 | 6 | 0.008
12/28/2025 | 1 | 73930 | 14362 | -13585 | 14360 | 6147 | -5814 | 0.197 | 954 | 64 | 0.067
12/28/2025 | 2 | 72140 | 14377 | -13565 | 14298 | 6154 | -5806 | 0.201 | 871 | 1 | 0.001
12/28/2025 | 3 | 71154 | 14810 | -13988 | 14359 | 6338 | -5987 | 0.204 | 542 | 0 | 0
12/28/2025 | 4 | 71343 | 14766 | -14158 | 14428 | 6319 | -6060 | 0.204 | 437 | 0 | 0
12/28/2025 | 5 | 72180 | 14594 | -14035 | 14440 | 6246 | -6007 | 0.202 | 118 | 0 | 0
12/28/2025 | 6 | 74529 | 14666 | -14133 | 14586 | 6277 | -6049 | 0.197 | 131 | 0 | 0
12/28/2025 | 7 | 77760 | 13712 | -13661 | 15200 | 5869 | -5847 | 0.196 | 586 | 0 | 0
12/28/2025 | 8 | 79972 | 13287 | -13463 | 14130 | 5687 | -5762 | 0.176 | 428 | 16 | 0.037
12/28/2025 | 9 | 80138 | 11690 | -12214 | 11266 | 5003 | -5228 | 0.139 | 338 | 10 | 0.03
12/28/2025 | 10 | 78759 | 11633 | -12108 | 10205 | 4979 | -5183 | 0.128 | 90 | 0 | 0
12/28/2025 | 11 | 76187 | 11930 | -12114 | 10056 | 5106 | -5185 | 0.131 | 0 | 0 | 0
12/28/2025 | 12 | 74732 | 11948 | -12078 | 10225 | 5114 | -5170 | 0.136 | 0 | 0 | 0
12/28/2025 | 13 | 74338 | 11890 | -12042 | 10378 | 5089 | -5154 | 0.139 | 0 | 0 | 0
12/28/2025 | 14 | 74692 | 12006 | -11954 | 11084 | 5138 | -5116 | 0.149 | 99 | 0 | 0
12/28/2025 | 15 | 76167 | 12135 | -11957 | 10975 | 5193 | -5117 | 0.145 | 296 | 0 | 0
12/28/2025 | 16 | 79436 | 11916 | -11743 | 13210 | 5100 | -5026 | 0.167 | 87 | 0 | 0
12/28/2025 | 17 | 85674 | 13872 | -13359 | 14985 | 5937 | -5718 | 0.176 | 602 | 0 | 0
12/28/2025 | 18 | 88729 | 13915 | -13204 | 15637 | 5955 | -5651 | 0.178 | 667 | 0 | 0
12/28/2025 | 19 | 88662 | 13644 | -13205 | 15942 | 5840 | -5651 | 0.181 | 616 | 0 | 0
12/28/2025 | 20 | 86745 | 13794 | -13045 | 16084 | 5904 | -5584 | 0.187 | 617 | 0 | 0
12/28/2025 | 21 | 84411 | 14127 | -13102 | 15930 | 6046 | -5608 | 0.192 | 965 | 34 | 0.035
12/28/2025 | 22 | 81875 | 14459 | -13151 | 16060 | 6189 | -5628 | 0.2 | 1102 | 90 | 0.082
12/28/2025 | 23 | 77613 | 15591 | -13452 | 16269 | 6673 | -5758 | 0.215 | 968 | 51 | 0.053
12/28/2025 | 24 | 74092 | 16078 | -13654 | 15676 | 6881 | -5844 | 0.218 | 1049 | 56 | 0.053
12/29/2025 | 1 | 72010 | 15825 | -13642 | 15642 | 6773 | -5839 | 0.223 | 1220 | 106 | 0.087
12/29/2025 | 2 | 70633 | 15878 | -13710 | 15301 | 6796 | -5868 | 0.223 | 965 | 23 | 0.024
12/29/2025 | 3 | 70092 | 15900 | -13778 | 15362 | 6805 | -5897 | 0.225 | 944 | 4 | 0.004
12/29/2025 | 4 | 70734 | 15793 | -13712 | 15421 | 6759 | -5869 | 0.224 | 1048 | 0 | 0
12/29/2025 | 5 | 73110 | 15603 | -13789 | 15993 | 6678 | -5902 | 0.224 | 805 | 0 | 0
12/29/2025 | 6 | 77555 | 14981 | -13280 | 16917 | 6412 | -5684 | 0.223 | 684 | 0 | 0
12/29/2025 | 7 | 83379 | 13777 | -12573 | 18266 | 5897 | -5381 | 0.222 | 523 | 0 | 0
12/29/2025 | 8 | 87127 | 12931 | -12458 | 17848 | 5534 | -5332 | 0.206 | 730 | 7 | 0.01
12/29/2025 | 9 | 86645 | 11586 | -11350 | 14925 | 4959 | -4858 | 0.173 | 28 | 0 | 0
12/29/2025 | 10 | 84364 | 11171 | -10804 | 13656 | 4781 | -4624 | 0.163 | 0 | 0 | 0
12/29/2025 | 11 | 81795 | 10832 | -10945 | 13626 | 4636 | -4685 | 0.166 | 0 | 0 | 0
12/29/2025 | 12 | 79615 | 10626 | -10523 | 13821 | 4548 | -4504 | 0.174 | 0 | 0 | 0
12/29/2025 | 13 | 77912 | 10816 | -10496 | 13666 | 4629 | -4492 | 0.176 | 0 | 0 | 0
12/29/2025 | 14 | 77013 | 11176 | -10766 | 13245 | 4783 | -4608 | 0.173 | 0 | 0 | 0
12/29/2025 | 15 | 78249 | 12231 | -11868 | 13152 | 5235 | -5079 | 0.169 | 0 | 0 | 0
12/29/2025 | 16 | 82606 | 12254 | -12251 | 14834 | 5245 | -5243 | 0.18 | 2 | 0 | 0
12/29/2025 | 17 | 88929 | 13788 | -13843 | 17265 | 5901 | -5925 | 0.194 | 733 | 0 | 0
12/29/2025 | 18 | 92323 | 14013 | -13617 | 18037 | 5998 | -5828 | 0.196 | 968 | 2 | 0.002
12/29/2025 | 19 | 91232 | 14065 | -13291 | 17840 | 6020 | -5688 | 0.198 | 1064 | 5 | 0.005
12/29/2025 | 20 | 89036 | 13809 | -12483 | 17933 | 5910 | -5343 | 0.205 | 1086 | 2 | 0.002
12/29/2025 | 21 | 86807 | 14357 | -12896 | 17891 | 6144 | -5520 | 0.21 | 1264 | 0 | 0
12/29/2025 | 22 | 84058 | 14117 | -12755 | 17910 | 6042 | -5459 | 0.216 | 1334 | 0 | 0
12/29/2025 | 23 | 79685 | 15122 | -13555 | 17366 | 6472 | -5802 | 0.222 | 1191 | 3 | 0.003
12/29/2025 | 24 | 75918 | 15175 | -13453 | 17091 | 6495 | -5758 | 0.23 | 1032 | 14 | 0.014
12/30/2025 | 1 | 74349 | 16108 | -14447 | 17262 | 6894 | -6183 | 0.236 | 984 | 0 | 0
12/30/2025 | 2 | 72969 | 16189 | -14656 | 17198 | 6929 | -6273 | 0.24 | 779 | 0 | 0
12/30/2025 | 3 | 72012 | 16109 | -14672 | 17186 | 6895 | -6280 | 0.242 | 446 | 0 | 0
12/30/2025 | 4 | 72404 | 15938 | -14628 | 17282 | 6822 | -6261 | 0.242 | 177 | 0 | 0
12/30/2025 | 5 | 74841 | 15484 | -14380 | 17613 | 6627 | -6155 | 0.238 | 226 | 0 | 0
12/30/2025 | 6 | 78892 | 15514 | -14398 | 17843 | 6640 | -6162 | 0.229 | 680 | 0 | 0
12/30/2025 | 7 | 83730 | 13899 | -13027 | 18400 | 5949 | -5576 | 0.222 | 719 | 0 | 0
12/30/2025 | 8 | 87218 | 13697 | -13343 | 18213 | 5862 | -5711 | 0.21 | 782 | 2 | 0.003
12/30/2025 | 9 | 88665 | 13143 | -12872 | 17968 | 5625 | -5509 | 0.203 | 1595 | 174 | 0.109
12/30/2025 | 10 | 87202 | 13581 | -13360 | 17585 | 5812 | -5718 | 0.202 | 984 | 2 | 0.002
12/30/2025 | 11 | 85250 | 13729 | -13225 | 17327 | 5876 | -5660 | 0.205 | 923 | 10 | 0.011
12/30/2025 | 12 | 84614 | 14162 | -13437 | 17594 | 6061 | -5751 | 0.21 | 670 | 6 | 0.009
12/30/2025 | 13 | 84055 | 14016 | -13284 | 17572 | 5999 | -5686 | 0.211 | 701 | 99 | 0.141
12/30/2025 | 14 | 83113 | 14042 | -13283 | 17609 | 6010 | -5685 | 0.214 | 1283 | 149 | 0.116
12/30/2025 | 15 | 82387 | 14288 | -13758 | 17925 | 6116 | -5888 | 0.219 | 944 | 43 | 0.046
12/30/2025 | 16 | 83408 | 14792 | -14109 | 19380 | 6331 | -6039 | 0.234 | 494 | 12 | 0.024
12/30/2025 | 17 | 88248 | 15722 | -15374 | 20388 | 6729 | -6580 | 0.232 | 845 | 0 | 0
12/30/2025 | 18 | 92124 | 16074 | -15780 | 20602 | 6880 | -6754 | 0.224 | 1010 | 3 | 0.003
12/30/2025 | 19 | 91531 | 15689 | -15477 | 20592 | 6715 | -6624 | 0.225 | 1136 | 8 | 0.007
12/30/2025 | 20 | 89455 | 15807 | -15388 | 20670 | 6766 | -6586 | 0.232 | 1298 | 80 | 0.062
12/30/2025 | 21 | 87883 | 15176 | -14729 | 20639 | 6495 | -6304 | 0.236 | 1724 | 168 | 0.097
12/30/2025 | 22 | 84828 | 15640 | -15149 | 20494 | 6694 | -6484 | 0.243 | 1835 | 195 | 0.106
12/30/2025 | 23 | 81134 | 15910 | -15586 | 20271 | 6809 | -6671 | 0.251 | 1267 | 48 | 0.038
12/30/2025 | 24 | 76859 | 15813 | -14962 | 19706 | 6768 | -6404 | 0.258 | 925 | 28 | 0.03
12/31/2025 | 1 | 74560 | 15413 | -14167 | 19236 | 6597 | -6063 | 0.261 | 1082 | 54 | 0.05
12/31/2025 | 2 | 72615 | 15296 | -13929 | 18529 | 6547 | -5961 | 0.258 | 1089 | 3 | 0.003
12/31/2025 | 3 | 71687 | 15415 | -14022 | 18207 | 6597 | -6002 | 0.257 | 1087 | 4 | 0.004
12/31/2025 | 4 | 72038 | 15372 | -14200 | 18246 | 6579 | -6078 | 0.256 | 1171 | 0 | 0
12/31/2025 | 5 | 73642 | 15456 | -14431 | 18364 | 6615 | -6176 | 0.252 | 812 | 0 | 0
12/31/2025 | 6 | 77240 | 15378 | -14392 | 18670 | 6582 | -6160 | 0.244 | 933 | 0 | 0
12/31/2025 | 7 | 82475 | 14761 | -14262 | 19150 | 6318 | -6104 | 0.233 | 995 | 0 | 0
12/31/2025 | 8 | 85917 | 14693 | -14365 | 19465 | 6289 | -6148 | 0.227 | 1119 | 123 | 0.11
12/31/2025 | 9 | 87750 | 14421 | -14069 | 19489 | 6172 | -6021 | 0.223 | 1525 | 226 | 0.148
12/31/2025 | 10 | 88290 | 14743 | -14370 | 19686 | 6310 | -6150 | 0.224 | 1306 | 116 | 0.089
12/31/2025 | 11 | 88049 | 14488 | -14143 | 20237 | 6201 | -6053 | 0.231 | 1118 | 39 | 0.035
12/31/2025 | 12 | 86706 | 14730 | -14318 | 20176 | 6304 | -6128 | 0.234 | 904 | 28 | 0.031
12/31/2025 | 13 | 84664 | 15476 | -14544 | 19519 | 6624 | -6225 | 0.233 | 704 | 0 | 0
12/31/2025 | 14 | 84216 | 15313 | -14570 | 18988 | 6554 | -6236 | 0.227 | 885 | 43 | 0.049
12/31/2025 | 15 | 84422 | 14682 | -14025 | 18855 | 6284 | -6002 | 0.225 | 823 | 30 | 0.036
12/31/2025 | 16 | 85717 | 14985 | -14672 | 19764 | 6413 | -6280 | 0.231 | 963 | 9 | 0.009
12/31/2025 | 17 | 88321 | 15550 | -15091 | 20158 | 6656 | -6459 | 0.229 | 814 | 18 | 0.022
12/31/2025 | 18 | 90192 | 15901 | -15375 | 19846 | 6806 | -6580 | 0.221 | 766 | 56 | 0.073
12/31/2025 | 19 | 87624 | 16474 | -15813 | 19278 | 7051 | -6768 | 0.222 | 778 | 72 | 0.093
12/31/2025 | 20 | 84744 | 16236 | -15487 | 19053 | 6949 | -6628 | 0.227 | 951 | 91 | 0.096
12/31/2025 | 21 | 82193 | 15978 | -15047 | 18994 | 6839 | -6440 | 0.233 | 959 | 7 | 0.007
12/31/2025 | 22 | 79601 | 15712 | -14263 | 18779 | 6725 | -6105 | 0.239 | 1016 | 14 | 0.014
12/31/2025 | 23 | 76832 | 16163 | -14672 | 18515 | 6918 | -6279 | 0.245 | 863 | 1 | 0.001
12/31/2025 | 24 | 74041 | 15603 | -14360 | 17830 | 6678 | -6146 | 0.244 | 814 | 0 | 0