## KEY
Average Emissions Rate Calculation
Background:
The CAISO is publishing this metric of an average emissions rate (AER) based on the discussion in the GHG working groups. CAISO discussed the metric at the November 27, 2023 GHG Coordination Working Group. A brief explanation of the methodology is included below:
Methodology:
1) Which resources are reflected in this example AER metric (all schedules are from the 5-minute market)
- All supply resources are included
- All demand response resources are excluded
- All energy storage resources are included (emissions rate used is 0 MTCO2e/MWh)
- Resources that were attributed to serve California are included
2) The AER measures all schedules ie. The total dispatach of the resources and not relative to WEIM base schedule
3) Bilateral transactions are included (emissions rate used is 0.428 MTCO2e/MWh) unless they are resource specific.
4) CAISO filled in missing heat rate and emissions rate data by using wtd averages from existing data
Key
TRADE_DT | Trade date of the reported data in MM/DD/YYYY format
TRADE_HR | Trade hour of the reported data. Data is reported as the "hour-ending", e.g. TRADE_HR = 2 is for the hour-ending 1:59:59AM Pacific time
GEN_MWH | MWh of electricity generation in the WEIM area* (including CAISO)
IMP_MWH | MWh of electricity imports into the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
EXP_MWH | MWh of electricity exports from the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
GEN_GHG | Greenhouse gas emissions in MTCO2e of electricity generation in the WEIM area
IMP_GHG | Greenhouse gas emissions in MTCO2e of electricity imports into the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
EXP_GHG | Greenhouse gas emissions in MTCO2e of electricity exports from the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
AVG_EM_RATE | Average emissions rate calculated as columns G through I divided by columns C through E
ATTR_MWH | MWh of WEIM transfers into California which, by definition, is equal to the sum of the GHG attributions
ATTR_GHG | Greenhouse gas emissions in MTCO2e of WEIM transfers into California (resource-specific)
ATTR_AVG_EM_RATE | Average emissions rate of WEIM transfers into California
CAISO PUBLIC

## AER_SUMMARY
TRADE_DT | TRADE_HR | GEN_MWH | IMP_MWH | EXP_MWH | GEN_GHG | IMP_GHG | EXP_GHG | AVG_EM_RATE | ATTR_MWH | ATTR_GHG | ATTR_AVG_EM_RATE
2/1/2025 | 1 | 72611 | 15067 | -12714 | 20734 | 6448 | -5442 | 0.29 | 928 | 297 | 0.32
2/1/2025 | 2 | 70883 | 14877 | -12757 | 19640 | 6368 | -5460 | 0.281 | 693 | 152 | 0.219
2/1/2025 | 3 | 69380 | 14945 | -12864 | 19121 | 6397 | -5506 | 0.28 | 708 | 161 | 0.227
2/1/2025 | 4 | 69200 | 15052 | -12924 | 18546 | 6442 | -5531 | 0.273 | 385 | 41 | 0.106
2/1/2025 | 5 | 70635 | 15162 | -13134 | 19004 | 6489 | -5622 | 0.273 | 247 | 5 | 0.02
2/1/2025 | 6 | 73558 | 15194 | -13390 | 19375 | 6503 | -5731 | 0.267 | 394 | 10 | 0.025
2/1/2025 | 7 | 76832 | 15496 | -13440 | 19692 | 6632 | -5752 | 0.261 | 510 | 38 | 0.075
2/1/2025 | 8 | 79982 | 14445 | -12812 | 19783 | 6182 | -5483 | 0.251 | 441 | 56 | 0.127
2/1/2025 | 9 | 79765 | 13408 | -12774 | 16818 | 5739 | -5468 | 0.213 | 0 | 0 | 0
2/1/2025 | 10 | 77738 | 12746 | -12044 | 14756 | 5455 | -5155 | 0.192 | 0 | 0 | 0
2/1/2025 | 11 | 75812 | 12685 | -11844 | 14210 | 5429 | -5070 | 0.19 | 0 | 0 | 0
2/1/2025 | 12 | 74141 | 13591 | -12265 | 14278 | 5817 | -5249 | 0.197 | 0 | 0 | 0
2/1/2025 | 13 | 72748 | 13507 | -11985 | 13919 | 5781 | -5130 | 0.196 | 0 | 0 | 0
2/1/2025 | 14 | 73476 | 13405 | -11966 | 14614 | 5738 | -5122 | 0.203 | 0 | 0 | 0
2/1/2025 | 15 | 74124 | 13225 | -11810 | 14892 | 5660 | -5055 | 0.205 | 0 | 0 | 0
2/1/2025 | 16 | 76588 | 13082 | -11791 | 16598 | 5599 | -5046 | 0.22 | 0 | 0 | 0
2/1/2025 | 17 | 80182 | 14440 | -12437 | 20033 | 6180 | -5323 | 0.254 | 0 | 0 | 0
2/1/2025 | 18 | 84539 | 14782 | -12512 | 21582 | 6327 | -5355 | 0.26 | 694 | 95 | 0.137
2/1/2025 | 19 | 85123 | 14731 | -12497 | 22120 | 6305 | -5349 | 0.264 | 573 | 71 | 0.124
2/1/2025 | 20 | 83505 | 14705 | -12392 | 22385 | 6294 | -5304 | 0.272 | 298 | 30 | 0.101
2/1/2025 | 21 | 81616 | 14324 | -11982 | 22267 | 6131 | -5128 | 0.277 | 569 | 33 | 0.058
2/1/2025 | 22 | 79443 | 13971 | -11754 | 22152 | 5979 | -5030 | 0.283 | 580 | 32 | 0.055
2/1/2025 | 23 | 76798 | 13116 | -11185 | 21973 | 5614 | -4787 | 0.29 | 404 | 38 | 0.094
2/1/2025 | 24 | 74113 | 12566 | -10796 | 21708 | 5378 | -4620 | 0.296 | 452 | 32 | 0.071
2/2/2025 | 1 | 71915 | 13756 | -11858 | 21529 | 5887 | -5075 | 0.303 | 856 | 157 | 0.183
2/2/2025 | 2 | 69980 | 13925 | -11918 | 21564 | 5960 | -5101 | 0.311 | 795 | 171 | 0.215
2/2/2025 | 3 | 68819 | 13558 | -11748 | 21496 | 5803 | -5028 | 0.315 | 352 | 77 | 0.219
2/2/2025 | 4 | 68654 | 13441 | -11698 | 21666 | 5753 | -5007 | 0.318 | 281 | 42 | 0.149
2/2/2025 | 5 | 69262 | 13404 | -11860 | 21758 | 5737 | -5076 | 0.317 | 354 | 59 | 0.167
2/2/2025 | 6 | 71413 | 13753 | -12482 | 21815 | 5887 | -5342 | 0.308 | 458 | 56 | 0.122
2/2/2025 | 7 | 74679 | 14364 | -13219 | 21964 | 6148 | -5658 | 0.296 | 613 | 95 | 0.155
2/2/2025 | 8 | 76782 | 13704 | -12843 | 20192 | 5865 | -5497 | 0.265 | 254 | 19 | 0.075
2/2/2025 | 9 | 76863 | 12689 | -12518 | 16510 | 5431 | -5358 | 0.215 | 0 | 0 | 0
2/2/2025 | 10 | 75624 | 12525 | -12239 | 15100 | 5360 | -5238 | 0.201 | 0 | 0 | 0
2/2/2025 | 11 | 74446 | 12592 | -12274 | 15169 | 5389 | -5253 | 0.205 | 0 | 0 | 0
2/2/2025 | 12 | 73275 | 12757 | -12318 | 15136 | 5460 | -5272 | 0.208 | 0 | 0 | 0
2/2/2025 | 13 | 72812 | 13440 | -12862 | 15228 | 5752 | -5505 | 0.211 | 0 | 0 | 0
2/2/2025 | 14 | 72737 | 13664 | -13021 | 15512 | 5848 | -5573 | 0.215 | 0 | 0 | 0
2/2/2025 | 15 | 73999 | 13598 | -12928 | 15656 | 5820 | -5533 | 0.214 | 0 | 0 | 0
2/2/2025 | 16 | 76847 | 13727 | -13386 | 16620 | 5875 | -5730 | 0.217 | 0 | 0 | 0
2/2/2025 | 17 | 81432 | 14396 | -12892 | 19365 | 6161 | -5518 | 0.241 | 0 | 0 | 0
2/2/2025 | 18 | 87120 | 14750 | -12987 | 22822 | 6313 | -5558 | 0.265 | 593 | 43 | 0.073
2/2/2025 | 19 | 88826 | 13988 | -12842 | 23491 | 5987 | -5497 | 0.267 | 834 | 107 | 0.128
2/2/2025 | 20 | 86960 | 13762 | -12591 | 23568 | 5890 | -5389 | 0.273 | 705 | 66 | 0.094
2/2/2025 | 21 | 85252 | 13418 | -12387 | 23493 | 5743 | -5302 | 0.277 | 907 | 84 | 0.093
2/2/2025 | 22 | 81472 | 13367 | -12148 | 22974 | 5721 | -5199 | 0.284 | 854 | 86 | 0.101
2/2/2025 | 23 | 76943 | 13920 | -12215 | 22394 | 5958 | -5228 | 0.294 | 901 | 143 | 0.159
2/2/2025 | 24 | 72710 | 13995 | -12032 | 21733 | 5990 | -5150 | 0.302 | 703 | 109 | 0.155
2/3/2025 | 1 | 71071 | 13265 | -11565 | 21096 | 5677 | -4950 | 0.3 | 1119 | 287 | 0.256
2/3/2025 | 2 | 69657 | 12944 | -11298 | 20419 | 5540 | -4836 | 0.296 | 688 | 147 | 0.214
2/3/2025 | 3 | 69455 | 12923 | -11355 | 20824 | 5531 | -4860 | 0.303 | 688 | 172 | 0.25
2/3/2025 | 4 | 70396 | 13280 | -11804 | 21400 | 5684 | -5052 | 0.307 | 613 | 113 | 0.184
2/3/2025 | 5 | 73320 | 13562 | -12055 | 22380 | 5805 | -5160 | 0.308 | 434 | 67 | 0.154
2/3/2025 | 6 | 78921 | 14067 | -12514 | 23452 | 6021 | -5356 | 0.3 | 501 | 43 | 0.086
2/3/2025 | 7 | 86250 | 14987 | -13914 | 24290 | 6415 | -5955 | 0.283 | 598 | 51 | 0.085
2/3/2025 | 8 | 89013 | 14512 | -13302 | 23703 | 6211 | -5693 | 0.268 | 807 | 133 | 0.165
2/3/2025 | 9 | 88139 | 14484 | -13732 | 21654 | 6199 | -5878 | 0.247 | 605 | 62 | 0.102
2/3/2025 | 10 | 86406 | 15092 | -14533 | 20430 | 6459 | -6220 | 0.238 | 262 | 24 | 0.092
2/3/2025 | 11 | 84341 | 15400 | -14883 | 19466 | 6591 | -6370 | 0.232 | 255 | 0 | 0
2/3/2025 | 12 | 82606 | 15337 | -14621 | 18927 | 6564 | -6258 | 0.231 | 184 | 0 | 0
2/3/2025 | 13 | 81274 | 15515 | -14732 | 18833 | 6641 | -6305 | 0.234 | 4 | 0 | 0
2/3/2025 | 14 | 81729 | 15028 | -14304 | 19405 | 6432 | -6122 | 0.239 | 10 | 1 | 0.1
2/3/2025 | 15 | 82159 | 15021 | -14319 | 20097 | 6429 | -6128 | 0.246 | 225 | 2 | 0.009
2/3/2025 | 16 | 84233 | 15209 | -14268 | 21286 | 6509 | -6106 | 0.255 | 361 | 6 | 0.017
2/3/2025 | 17 | 88094 | 15322 | -13742 | 24278 | 6558 | -5881 | 0.278 | 379 | 29 | 0.077
2/3/2025 | 18 | 91976 | 15973 | -14096 | 25939 | 6836 | -6033 | 0.285 | 753 | 18 | 0.024
2/3/2025 | 19 | 92862 | 15857 | -13992 | 26259 | 6787 | -5989 | 0.286 | 1272 | 261 | 0.205
2/3/2025 | 20 | 91132 | 15346 | -13842 | 26082 | 6568 | -5925 | 0.288 | 795 | 17 | 0.021
2/3/2025 | 21 | 88430 | 15270 | -14092 | 28534 | 6536 | -6032 | 0.324 | 1371 | 222 | 0.162
2/3/2025 | 22 | 85079 | 14808 | -13744 | 29058 | 6338 | -5883 | 0.343 | 1681 | 575 | 0.342
2/3/2025 | 23 | 80648 | 13428 | -12492 | 24938 | 5747 | -5347 | 0.311 | 1753 | 387 | 0.221
2/3/2025 | 24 | 75767 | 13316 | -11977 | 24043 | 5699 | -5126 | 0.319 | 1207 | 299 | 0.248
2/4/2025 | 1 | 73303 | 13902 | -12600 | 23804 | 5950 | -5393 | 0.327 | 1243 | 438 | 0.352
2/4/2025 | 2 | 71788 | 13857 | -12491 | 23426 | 5931 | -5346 | 0.328 | 1331 | 362 | 0.272
2/4/2025 | 3 | 70916 | 13281 | -11954 | 22899 | 5684 | -5116 | 0.325 | 1007 | 249 | 0.247
2/4/2025 | 4 | 71503 | 13225 | -11905 | 22710 | 5660 | -5095 | 0.32 | 890 | 198 | 0.222
2/4/2025 | 5 | 74294 | 13397 | -12029 | 23039 | 5734 | -5148 | 0.312 | 793 | 126 | 0.159
2/4/2025 | 6 | 79768 | 14778 | -13265 | 24038 | 6325 | -5677 | 0.304 | 1041 | 154 | 0.148
2/4/2025 | 7 | 86658 | 16607 | -15389 | 25324 | 7108 | -6587 | 0.294 | 1051 | 175 | 0.167
2/4/2025 | 8 | 89837 | 15906 | -14500 | 24858 | 6808 | -6206 | 0.279 | 948 | 141 | 0.149
2/4/2025 | 9 | 89602 | 14785 | -14301 | 20737 | 6328 | -6121 | 0.232 | 182 | 0 | 0
2/4/2025 | 10 | 87550 | 14597 | -14461 | 18354 | 6248 | -6189 | 0.21 | 0 | 0 | 0
2/4/2025 | 11 | 85311 | 14219 | -14095 | 17207 | 6086 | -6032 | 0.202 | 0 | 0 | 0
2/4/2025 | 12 | 83679 | 14199 | -14164 | 16564 | 6077 | -6062 | 0.198 | 0 | 0 | 0
2/4/2025 | 13 | 82574 | 14754 | -14741 | 16483 | 6315 | -6309 | 0.2 | 0 | 0 | 0
2/4/2025 | 14 | 82235 | 14726 | -15120 | 16624 | 6303 | -6471 | 0.201 | 0 | 0 | 0
2/4/2025 | 15 | 84080 | 14576 | -15049 | 17465 | 6239 | -6441 | 0.206 | 0 | 0 | 0
2/4/2025 | 16 | 86100 | 14676 | -15172 | 18714 | 6282 | -6493 | 0.216 | 0 | 0 | 0
2/4/2025 | 17 | 89547 | 15228 | -14558 | 22099 | 6518 | -6231 | 0.248 | 134 | 0 | 0
2/4/2025 | 18 | 93447 | 16056 | -14852 | 24620 | 6872 | -6357 | 0.266 | 1014 | 181 | 0.179
2/4/2025 | 19 | 94321 | 15979 | -15148 | 25288 | 6839 | -6484 | 0.269 | 932 | 70 | 0.075
2/4/2025 | 20 | 92514 | 15784 | -15021 | 25246 | 6756 | -6429 | 0.274 | 686 | 14 | 0.02
2/4/2025 | 21 | 90207 | 15577 | -14857 | 24889 | 6667 | -6359 | 0.277 | 763 | 18 | 0.024
2/4/2025 | 22 | 86175 | 15306 | -14320 | 24324 | 6551 | -6129 | 0.284 | 719 | 30 | 0.042
2/4/2025 | 23 | 81718 | 13910 | -12827 | 23431 | 5954 | -5490 | 0.289 | 585 | 56 | 0.096
2/4/2025 | 24 | 77417 | 13965 | -12815 | 22755 | 5977 | -5485 | 0.296 | 706 | 6 | 0.008
2/5/2025 | 1 | 74685 | 13036 | -11744 | 22218 | 5580 | -5026 | 0.3 | 339 | 1 | 0.003
2/5/2025 | 2 | 73078 | 13107 | -11687 | 21656 | 5610 | -5002 | 0.299 | 478 | 16 | 0.033
2/5/2025 | 3 | 72359 | 13120 | -11724 | 21209 | 5615 | -5018 | 0.296 | 575 | 1 | 0.002
2/5/2025 | 4 | 73058 | 13134 | -11813 | 21195 | 5622 | -5056 | 0.293 | 727 | 1 | 0.001
2/5/2025 | 5 | 76217 | 13115 | -12059 | 21660 | 5613 | -5161 | 0.286 | 702 | 1 | 0.001
2/5/2025 | 6 | 81967 | 13508 | -12593 | 22500 | 5781 | -5390 | 0.276 | 840 | 1 | 0.001
2/5/2025 | 7 | 89349 | 14218 | -13780 | 23393 | 6085 | -5898 | 0.263 | 1027 | 10 | 0.01
2/5/2025 | 8 | 92228 | 14029 | -13478 | 21752 | 6004 | -5768 | 0.237 | 946 | 94 | 0.099
2/5/2025 | 9 | 90574 | 13606 | -13611 | 18309 | 5824 | -5826 | 0.202 | 658 | 7 | 0.011
2/5/2025 | 10 | 87641 | 14125 | -14085 | 15717 | 6045 | -6028 | 0.179 | 0 | 0 | 0
2/5/2025 | 11 | 84343 | 14310 | -14482 | 15233 | 6125 | -6198 | 0.18 | 0 | 0 | 0
2/5/2025 | 12 | 81304 | 14164 | -14143 | 15001 | 6062 | -6053 | 0.185 | 0 | 0 | 0
2/5/2025 | 13 | 79886 | 13832 | -13590 | 15265 | 5920 | -5816 | 0.192 | 0 | 0 | 0
2/5/2025 | 14 | 79799 | 14186 | -14165 | 15014 | 6071 | -6063 | 0.188 | 0 | 0 | 0
2/5/2025 | 15 | 80210 | 13777 | -13901 | 15395 | 5897 | -5950 | 0.192 | 0 | 0 | 0
2/5/2025 | 16 | 82580 | 13520 | -13566 | 16888 | 5787 | -5806 | 0.204 | 6 | 0 | 0
2/5/2025 | 17 | 87257 | 14120 | -12742 | 20652 | 6043 | -5454 | 0.24 | 0 | 0 | 0
2/5/2025 | 18 | 92947 | 14732 | -13198 | 23750 | 6305 | -5649 | 0.258 | 1044 | 98 | 0.094
2/5/2025 | 19 | 94036 | 14399 | -12860 | 23837 | 6163 | -5504 | 0.256 | 1015 | 142 | 0.14
2/5/2025 | 20 | 92241 | 14536 | -13249 | 24192 | 6222 | -5670 | 0.265 | 1227 | 254 | 0.207
2/5/2025 | 21 | 89762 | 13845 | -12729 | 24892 | 5926 | -5448 | 0.279 | 1016 | 142 | 0.14
2/5/2025 | 22 | 85855 | 13556 | -12107 | 24694 | 5802 | -5182 | 0.29 | 1201 | 148 | 0.123
2/5/2025 | 23 | 80693 | 13357 | -11579 | 24528 | 5717 | -4956 | 0.307 | 759 | 53 | 0.07
2/5/2025 | 24 | 76886 | 13344 | -11600 | 24000 | 5711 | -4965 | 0.315 | 590 | 38 | 0.064
2/6/2025 | 1 | 74762 | 12960 | -11079 | 23144 | 5547 | -4742 | 0.312 | 560 | 29 | 0.052
2/6/2025 | 2 | 73300 | 13064 | -11154 | 22615 | 5592 | -4774 | 0.312 | 425 | 6 | 0.014
2/6/2025 | 3 | 72568 | 13140 | -11168 | 22405 | 5624 | -4780 | 0.312 | 326 | 4 | 0.012
2/6/2025 | 4 | 73144 | 13102 | -11147 | 22660 | 5607 | -4771 | 0.313 | 439 | 7 | 0.016
2/6/2025 | 5 | 75938 | 13139 | -11375 | 23251 | 5624 | -4868 | 0.309 | 102 | 10 | 0.098
2/6/2025 | 6 | 80765 | 13860 | -12091 | 23740 | 5932 | -5175 | 0.297 | 688 | 22 | 0.032
2/6/2025 | 7 | 87294 | 14827 | -13378 | 24433 | 6346 | -5726 | 0.282 | 916 | 36 | 0.039
2/6/2025 | 8 | 89794 | 15009 | -13613 | 22493 | 6424 | -5826 | 0.253 | 1214 | 156 | 0.129
2/6/2025 | 9 | 89671 | 14703 | -13850 | 19043 | 6293 | -5928 | 0.214 | 652 | 15 | 0.023
2/6/2025 | 10 | 88194 | 15450 | -14742 | 18161 | 6612 | -6310 | 0.208 | 2 | 0 | 0
2/6/2025 | 11 | 86377 | 14806 | -14129 | 18179 | 6337 | -6047 | 0.212 | 28 | 0 | 0
2/6/2025 | 12 | 84948 | 14472 | -13631 | 18368 | 6194 | -5834 | 0.218 | 3 | 0 | 0
2/6/2025 | 13 | 84793 | 14882 | -14023 | 18312 | 6369 | -6002 | 0.218 | 0 | 0 | 0
2/6/2025 | 14 | 84265 | 15160 | -14260 | 18190 | 6489 | -6103 | 0.218 | 0 | 0 | 0
2/6/2025 | 15 | 85413 | 14772 | -14487 | 18742 | 6322 | -6200 | 0.22 | 231 | 15 | 0.065
2/6/2025 | 16 | 87111 | 14494 | -14058 | 20140 | 6204 | -6017 | 0.232 | 374 | 25 | 0.067
2/6/2025 | 17 | 89553 | 14477 | -13088 | 23126 | 6196 | -5602 | 0.261 | 1038 | 244 | 0.235
2/6/2025 | 18 | 92823 | 14613 | -12937 | 24319 | 6254 | -5537 | 0.265 | 1102 | 224 | 0.203
2/6/2025 | 19 | 93822 | 14001 | -12824 | 24394 | 5992 | -5489 | 0.262 | 1164 | 208 | 0.179
2/6/2025 | 20 | 91859 | 14040 | -12787 | 24827 | 6009 | -5473 | 0.272 | 816 | 59 | 0.072
2/6/2025 | 21 | 89653 | 13579 | -12484 | 24924 | 5812 | -5343 | 0.28 | 757 | 54 | 0.071
2/6/2025 | 22 | 86269 | 13428 | -12348 | 24697 | 5747 | -5285 | 0.288 | 838 | 102 | 0.122
2/6/2025 | 23 | 81748 | 12686 | -11606 | 24120 | 5429 | -4967 | 0.297 | 327 | 17 | 0.052
2/6/2025 | 24 | 77923 | 12519 | -11420 | 23083 | 5358 | -4888 | 0.298 | 348 | 3 | 0.009
2/7/2025 | 1 | 76426 | 11949 | -11270 | 22646 | 5114 | -4824 | 0.297 | 353 | 13 | 0.037
2/7/2025 | 2 | 75014 | 11902 | -11381 | 22298 | 5094 | -4871 | 0.298 | 366 | 16 | 0.044
2/7/2025 | 3 | 74053 | 12044 | -11393 | 22079 | 5155 | -4876 | 0.299 | 376 | 0 | 0
2/7/2025 | 4 | 74241 | 12147 | -11434 | 22127 | 5199 | -4894 | 0.299 | 384 | 10 | 0.026
2/7/2025 | 5 | 76495 | 12254 | -11477 | 22272 | 5245 | -4912 | 0.293 | 305 | 9 | 0.03
2/7/2025 | 6 | 81558 | 12880 | -12082 | 22872 | 5513 | -5171 | 0.282 | 600 | 22 | 0.037
2/7/2025 | 7 | 88056 | 13325 | -12751 | 23331 | 5703 | -5457 | 0.266 | 905 | 99 | 0.109
2/7/2025 | 8 | 91230 | 13606 | -13145 | 22151 | 5824 | -5626 | 0.244 | 1000 | 178 | 0.178
2/7/2025 | 9 | 90927 | 12594 | -13006 | 18778 | 5390 | -5566 | 0.206 | 10 | 0 | 0
2/7/2025 | 10 | 88802 | 12797 | -13150 | 16624 | 5477 | -5628 | 0.186 | 0 | 0 | 0
2/7/2025 | 11 | 86270 | 12707 | -13467 | 15482 | 5438 | -5764 | 0.177 | 0 | 0 | 0
2/7/2025 | 12 | 83171 | 12495 | -13144 | 15451 | 5348 | -5625 | 0.184 | 0 | 0 | 0
2/7/2025 | 13 | 81513 | 12121 | -12760 | 15203 | 5188 | -5462 | 0.185 | 0 | 0 | 0
2/7/2025 | 14 | 80363 | 12196 | -12957 | 15469 | 5220 | -5546 | 0.19 | 0 | 0 | 0
2/7/2025 | 15 | 80239 | 11731 | -12487 | 15924 | 5021 | -5344 | 0.196 | 0 | 0 | 0
2/7/2025 | 16 | 81464 | 12248 | -12862 | 16685 | 5242 | -5504 | 0.203 | 0 | 0 | 0
2/7/2025 | 17 | 84301 | 12815 | -12074 | 18897 | 5485 | -5168 | 0.226 | 51 | 1 | 0.02
2/7/2025 | 18 | 89169 | 13557 | -12763 | 20673 | 5802 | -5463 | 0.234 | 701 | 32 | 0.046
2/7/2025 | 19 | 90248 | 13380 | -12593 | 20892 | 5726 | -5390 | 0.233 | 497 | 13 | 0.026
2/7/2025 | 20 | 88365 | 13369 | -12297 | 20837 | 5722 | -5263 | 0.238 | 23 | 0 | 0
2/7/2025 | 21 | 86549 | 13090 | -11825 | 21475 | 5603 | -5061 | 0.251 | 800 | 1 | 0.001
2/7/2025 | 22 | 83931 | 13481 | -11939 | 21631 | 5770 | -5110 | 0.261 | 933 | 4 | 0.004
2/7/2025 | 23 | 80271 | 13169 | -11266 | 21220 | 5636 | -4822 | 0.268 | 977 | 25 | 0.026
2/7/2025 | 24 | 77062 | 13078 | -11039 | 21099 | 5597 | -4725 | 0.278 | 1039 | 3 | 0.003
2/8/2025 | 3 | 70912 | 12865 | -10684 | 19841 | 5506 | -4573 | 0.284 | 934 | 8 | 0.009
2/8/2025 | 4 | 70913 | 13027 | -10746 | 19532 | 5575 | -4599 | 0.28 | 900 | 18 | 0.02
2/8/2025 | 5 | 72008 | 13298 | -11054 | 19537 | 5691 | -4731 | 0.276 | 1154 | 24 | 0.021
2/8/2025 | 6 | 74501 | 13344 | -11052 | 20015 | 5711 | -4730 | 0.273 | 579 | 8 | 0.014
2/8/2025 | 7 | 78651 | 14330 | -12168 | 20591 | 6133 | -5208 | 0.266 | 1348 | 126 | 0.093
2/8/2025 | 8 | 80495 | 14590 | -12612 | 18858 | 6244 | -5398 | 0.239 | 1005 | 61 | 0.061
2/8/2025 | 9 | 80072 | 13854 | -12708 | 15667 | 5930 | -5439 | 0.199 | 0 | 0 | 0
2/8/2025 | 10 | 77578 | 14586 | -13371 | 13728 | 6243 | -5723 | 0.181 | 0 | 0 | 0
2/8/2025 | 11 | 75053 | 14417 | -13201 | 13338 | 6171 | -5650 | 0.182 | 0 | 0 | 0
2/8/2025 | 12 | 72537 | 14304 | -13048 | 13176 | 6122 | -5584 | 0.186 | 0 | 0 | 0
2/8/2025 | 13 | 71290 | 14294 | -13191 | 12970 | 6118 | -5646 | 0.186 | 0 | 0 | 0
2/8/2025 | 14 | 71180 | 14467 | -13512 | 13325 | 6192 | -5783 | 0.19 | 0 | 0 | 0
2/8/2025 | 15 | 72195 | 13830 | -13186 | 13704 | 5919 | -5643 | 0.192 | 0 | 0 | 0
2/8/2025 | 16 | 74970 | 13542 | -12866 | 14849 | 5796 | -5507 | 0.2 | 0 | 0 | 0
2/8/2025 | 17 | 79358 | 13864 | -11888 | 18510 | 5934 | -5088 | 0.238 | 328 | 12 | 0.037
2/8/2025 | 18 | 84347 | 14268 | -11928 | 20501 | 6107 | -5105 | 0.248 | 1332 | 105 | 0.079
2/8/2025 | 19 | 85730 | 14476 | -12170 | 21430 | 6195 | -5209 | 0.255 | 1187 | 63 | 0.053
2/8/2025 | 20 | 84622 | 14779 | -12599 | 21916 | 6325 | -5393 | 0.263 | 1598 | 147 | 0.092
2/8/2025 | 21 | 83123 | 14474 | -12434 | 21929 | 6195 | -5322 | 0.268 | 1426 | 151 | 0.106
2/8/2025 | 22 | 80487 | 14378 | -11869 | 22385 | 6154 | -5080 | 0.283 | 1553 | 137 | 0.088
2/8/2025 | 23 | 77150 | 13700 | -10984 | 22993 | 5864 | -4701 | 0.302 | 1230 | 138 | 0.112
2/8/2025 | 24 | 73722 | 13271 | -10382 | 22614 | 5680 | -4444 | 0.311 | 1476 | 204 | 0.138
2/9/2025 | 1 | 71684 | 12730 | -9910 | 22099 | 5449 | -4241 | 0.313 | 1877 | 397 | 0.212
2/9/2025 | 2 | 69978 | 12555 | -9667 | 21928 | 5374 | -4137 | 0.318 | 1812 | 368 | 0.203
2/9/2025 | 3 | 69531 | 12638 | -9886 | 21453 | 5409 | -4232 | 0.313 | 1692 | 363 | 0.215
2/9/2025 | 4 | 69745 | 12524 | -9797 | 21347 | 5360 | -4194 | 0.311 | 1555 | 350 | 0.225
2/9/2025 | 5 | 70473 | 12761 | -9821 | 21543 | 5462 | -4204 | 0.311 | 1252 | 390 | 0.312
2/9/2025 | 6 | 72851 | 13104 | -10211 | 21586 | 5608 | -4370 | 0.301 | 1340 | 323 | 0.241
2/9/2025 | 7 | 76256 | 13261 | -10664 | 21783 | 5676 | -4564 | 0.29 | 966 | 159 | 0.165
2/9/2025 | 8 | 78401 | 12980 | -10875 | 20137 | 5556 | -4655 | 0.261 | 796 | 64 | 0.08
2/9/2025 | 9 | 78591 | 13012 | -12204 | 16694 | 5569 | -5223 | 0.215 | 50 | 1 | 0.02
2/9/2025 | 10 | 75872 | 12681 | -11653 | 14928 | 5428 | -4988 | 0.2 | 0 | 0 | 0
2/9/2025 | 11 | 73283 | 12342 | -11722 | 14001 | 5282 | -5017 | 0.193 | 0 | 0 | 0
2/9/2025 | 12 | 71327 | 12540 | -12299 | 13685 | 5367 | -5264 | 0.193 | 0 | 0 | 0
2/9/2025 | 13 | 71162 | 12816 | -12893 | 14012 | 5485 | -5518 | 0.197 | 0 | 0 | 0
2/9/2025 | 14 | 72194 | 13063 | -13269 | 14957 | 5591 | -5679 | 0.207 | 11 | 0 | 0
2/9/2025 | 15 | 74221 | 12501 | -12687 | 15425 | 5351 | -5430 | 0.207 | 4 | 0 | 0
2/9/2025 | 16 | 76142 | 11982 | -11611 | 16708 | 5128 | -4969 | 0.22 | 40 | 0 | 0
2/9/2025 | 17 | 78664 | 11677 | -10391 | 20811 | 4998 | -4447 | 0.267 | 1302 | 216 | 0.166
2/9/2025 | 18 | 83381 | 12632 | -10930 | 22480 | 5406 | -4678 | 0.273 | 2117 | 590 | 0.279
2/9/2025 | 19 | 84628 | 12754 | -11163 | 23117 | 5459 | -4778 | 0.276 | 1521 | 373 | 0.245
2/9/2025 | 20 | 83708 | 12728 | -11135 | 23636 | 5448 | -4766 | 0.285 | 1124 | 168 | 0.149
2/9/2025 | 21 | 84240 | 12511 | -10646 | 24373 | 5355 | -4557 | 0.292 | 872 | 64 | 0.073
2/9/2025 | 22 | 81204 | 12658 | -10451 | 24457 | 5417 | -4473 | 0.305 | 1283 | 114 | 0.089
2/9/2025 | 23 | 76879 | 12843 | -10200 | 23817 | 5497 | -4366 | 0.314 | 1520 | 275 | 0.181
2/9/2025 | 24 | 73394 | 13031 | -9953 | 23575 | 5577 | -4260 | 0.326 | 1570 | 365 | 0.232
2/10/2025 | 1 | 72431 | 12487 | -9408 | 23509 | 5345 | -4027 | 0.329 | 980 | 161 | 0.164
2/10/2025 | 2 | 71390 | 12584 | -9483 | 23584 | 5386 | -4059 | 0.334 | 571 | 108 | 0.189
2/10/2025 | 3 | 71078 | 12538 | -9460 | 23491 | 5366 | -4049 | 0.335 | 512 | 89 | 0.174
2/10/2025 | 4 | 72154 | 12569 | -9541 | 23475 | 5380 | -4084 | 0.329 | 553 | 97 | 0.175
2/10/2025 | 5 | 75586 | 12701 | -9915 | 24210 | 5436 | -4244 | 0.324 | 554 | 100 | 0.181
2/10/2025 | 6 | 81699 | 12755 | -10473 | 24804 | 5459 | -4482 | 0.307 | 766 | 105 | 0.137
2/10/2025 | 7 | 88549 | 15131 | -12854 | 25791 | 6476 | -5502 | 0.295 | 1608 | 319 | 0.198
2/10/2025 | 8 | 92100 | 14930 | -13211 | 24398 | 6390 | -5654 | 0.268 | 1838 | 415 | 0.226
2/10/2025 | 9 | 90008 | 14558 | -13670 | 19903 | 6231 | -5851 | 0.223 | 723 | 84 | 0.116
2/10/2025 | 10 | 86494 | 14757 | -13835 | 17338 | 6316 | -5921 | 0.203 | 92 | 0 | 0
2/10/2025 | 11 | 82860 | 14462 | -13859 | 15918 | 6190 | -5931 | 0.194 | 0 | 0 | 0
2/10/2025 | 12 | 79396 | 14140 | -13735 | 15094 | 6052 | -5878 | 0.191 | 0 | 0 | 0
2/10/2025 | 13 | 77668 | 14268 | -13748 | 15582 | 6107 | -5884 | 0.202 | 0 | 0 | 0
2/10/2025 | 14 | 77217 | 14541 | -14231 | 15236 | 6223 | -6091 | 0.198 | 0 | 0 | 0
2/10/2025 | 15 | 77712 | 14415 | -14267 | 15597 | 6170 | -6106 | 0.201 | 0 | 0 | 0
2/10/2025 | 16 | 79335 | 14289 | -14158 | 16375 | 6116 | -6059 | 0.207 | 0 | 0 | 0
2/10/2025 | 17 | 84369 | 14385 | -13200 | 20136 | 6157 | -5649 | 0.241 | 86 | 10 | 0.116
2/10/2025 | 18 | 90701 | 15249 | -13232 | 23638 | 6526 | -5663 | 0.264 | 1146 | 136 | 0.119
2/10/2025 | 19 | 92992 | 15628 | -13314 | 24434 | 6689 | -5699 | 0.267 | 1239 | 158 | 0.128
2/10/2025 | 20 | 91970 | 15132 | -12879 | 24766 | 6476 | -5512 | 0.273 | 1631 | 214 | 0.131
2/10/2025 | 21 | 90123 | 15510 | -13022 | 25126 | 6638 | -5573 | 0.283 | 1673 | 204 | 0.122
2/10/2025 | 22 | 87466 | 15226 | -12776 | 25098 | 6516 | -5468 | 0.291 | 1782 | 240 | 0.135
2/10/2025 | 23 | 82851 | 14296 | -11879 | 24364 | 6119 | -5084 | 0.298 | 1103 | 87 | 0.079
2/10/2025 | 24 | 78429 | 14232 | -11554 | 23725 | 6092 | -4945 | 0.307 | 1027 | 65 | 0.063
2/11/2025 | 1 | 76995 | 12974 | -10600 | 23295 | 5553 | -4537 | 0.306 | 1056 | 72 | 0.068
2/11/2025 | 2 | 75725 | 13052 | -10529 | 23190 | 5586 | -4506 | 0.31 | 859 | 60 | 0.07
2/11/2025 | 3 | 74939 | 12966 | -10192 | 23335 | 5549 | -4362 | 0.316 | 940 | 57 | 0.061
2/11/2025 | 4 | 75721 | 13033 | -10163 | 23994 | 5578 | -4350 | 0.321 | 712 | 65 | 0.091
2/11/2025 | 5 | 79088 | 13876 | -11195 | 24372 | 5939 | -4791 | 0.312 | 781 | 62 | 0.079
2/11/2025 | 6 | 85086 | 14804 | -11963 | 25359 | 6336 | -5120 | 0.302 | 900 | 55 | 0.061
2/11/2025 | 7 | 93093 | 15627 | -13610 | 26578 | 6688 | -5825 | 0.289 | 814 | 65 | 0.08
2/11/2025 | 8 | 96626 | 15795 | -14060 | 25561 | 6760 | -6018 | 0.267 | 876 | 149 | 0.17
2/11/2025 | 9 | 93932 | 15824 | -14918 | 21715 | 6773 | -6385 | 0.233 | 1326 | 406 | 0.306
2/11/2025 | 10 | 89535 | 15746 | -15565 | 19039 | 6739 | -6662 | 0.213 | 121 | 14 | 0.116
2/11/2025 | 11 | 84823 | 15527 | -15412 | 17931 | 6646 | -6596 | 0.212 | 0 | 0 | 0
2/11/2025 | 12 | 81510 | 15766 | -15452 | 16990 | 6748 | -6613 | 0.209 | 0 | 0 | 0
2/11/2025 | 13 | 80335 | 15573 | -15498 | 16961 | 6665 | -6633 | 0.211 | 0 | 0 | 0
2/11/2025 | 14 | 79542 | 15249 | -15503 | 16499 | 6526 | -6635 | 0.207 | 0 | 0 | 0
2/11/2025 | 15 | 80694 | 15392 | -15838 | 16450 | 6588 | -6778 | 0.203 | 0 | 0 | 0
2/11/2025 | 16 | 83389 | 15218 | -15581 | 17816 | 6514 | -6669 | 0.213 | 113 | 1 | 0.009
2/11/2025 | 17 | 87883 | 15508 | -15020 | 22320 | 6638 | -6429 | 0.255 | 305 | 27 | 0.089
2/11/2025 | 18 | 94445 | 15915 | -15354 | 25723 | 6812 | -6571 | 0.273 | 1460 | 286 | 0.196
2/11/2025 | 19 | 97300 | 15766 | -15210 | 26699 | 6748 | -6510 | 0.275 | 999 | 230 | 0.23
2/11/2025 | 20 | 96469 | 15259 | -14946 | 27463 | 6531 | -6397 | 0.285 | 1288 | 298 | 0.231
2/11/2025 | 21 | 94651 | 14942 | -14550 | 27582 | 6395 | -6227 | 0.292 | 1597 | 348 | 0.218
2/11/2025 | 22 | 91098 | 14531 | -13660 | 27370 | 6219 | -5846 | 0.302 | 1871 | 506 | 0.27
2/11/2025 | 23 | 86222 | 13193 | -11924 | 26829 | 5647 | -5103 | 0.313 | 1512 | 424 | 0.28
2/11/2025 | 24 | 82455 | 12381 | -11117 | 26494 | 5299 | -4758 | 0.323 | 1363 | 404 | 0.296
2/12/2025 | 1 | 80528 | 12215 | -11112 | 26236 | 5228 | -4756 | 0.327 | 718 | 131 | 0.182
2/12/2025 | 2 | 79415 | 12313 | -11146 | 25939 | 5270 | -4770 | 0.328 | 913 | 227 | 0.249
2/12/2025 | 3 | 79238 | 12357 | -11351 | 25748 | 5289 | -4858 | 0.326 | 653 | 104 | 0.159
2/12/2025 | 4 | 80463 | 12670 | -11802 | 26250 | 5423 | -5051 | 0.327 | 558 | 56 | 0.1
2/12/2025 | 5 | 84005 | 13404 | -12839 | 26719 | 5737 | -5495 | 0.319 | 638 | 61 | 0.096
2/12/2025 | 6 | 90188 | 13997 | -13683 | 27642 | 5991 | -5856 | 0.307 | 246 | 34 | 0.138
2/12/2025 | 7 | 97060 | 14552 | -14438 | 28580 | 6228 | -6180 | 0.295 | 809 | 126 | 0.156
2/12/2025 | 8 | 99825 | 14691 | -14542 | 27667 | 6288 | -6224 | 0.277 | 1160 | 322 | 0.278
2/12/2025 | 9 | 97063 | 14172 | -13712 | 24625 | 6066 | -5869 | 0.255 | 650 | 81 | 0.125
2/12/2025 | 10 | 92462 | 14520 | -13671 | 22182 | 6214 | -5851 | 0.242 | 132 | 0 | 0
2/12/2025 | 11 | 88763 | 14238 | -13105 | 21329 | 6094 | -5609 | 0.243 | 0 | 0 | 0
2/12/2025 | 12 | 86016 | 14184 | -12901 | 20838 | 6071 | -5521 | 0.245 | 0 | 0 | 0
2/12/2025 | 13 | 84347 | 14043 | -12644 | 20798 | 6010 | -5412 | 0.25 | 113 | 0 | 0
2/12/2025 | 14 | 83468 | 13868 | -12562 | 21456 | 5936 | -5377 | 0.26 | 438 | 23 | 0.053
2/12/2025 | 15 | 84088 | 14918 | -13792 | 22386 | 6385 | -5903 | 0.268 | 1266 | 466 | 0.368
2/12/2025 | 16 | 86805 | 14524 | -13964 | 23857 | 6216 | -5976 | 0.276 | 2437 | 1184 | 0.486
2/12/2025 | 17 | 89855 | 14348 | -13354 | 26377 | 6141 | -5715 | 0.295 | 1832 | 646 | 0.353
2/12/2025 | 18 | 94864 | 15333 | -14013 | 27712 | 6562 | -5997 | 0.294 | 1963 | 620 | 0.316
2/12/2025 | 19 | 97047 | 15516 | -14161 | 28055 | 6641 | -6061 | 0.291 | 1288 | 223 | 0.173
2/12/2025 | 20 | 95708 | 15021 | -13475 | 28001 | 6429 | -5767 | 0.295 | 1663 | 417 | 0.251
2/12/2025 | 21 | 93118 | 14203 | -12219 | 27783 | 6079 | -5230 | 0.301 | 1828 | 680 | 0.372
2/12/2025 | 22 | 89626 | 14093 | -11758 | 27357 | 6032 | -5032 | 0.308 | 1485 | 519 | 0.349
2/12/2025 | 23 | 84914 | 13818 | -11259 | 26418 | 5914 | -4819 | 0.315 | 1097 | 293 | 0.267
2/12/2025 | 24 | 80995 | 13605 | -10941 | 24950 | 5823 | -4683 | 0.312 | 878 | 171 | 0.195
2/13/2025 | 1 | 79485 | 12511 | -10362 | 24244 | 5355 | -4435 | 0.308 | 757 | 90 | 0.119
2/13/2025 | 2 | 78154 | 12367 | -10133 | 23894 | 5293 | -4337 | 0.309 | 658 | 77 | 0.117
2/13/2025 | 3 | 78283 | 12211 | -10465 | 23917 | 5226 | -4479 | 0.308 | 586 | 66 | 0.113
2/13/2025 | 4 | 78993 | 11981 | -10439 | 23630 | 5128 | -4468 | 0.302 | 486 | 49 | 0.101
2/13/2025 | 5 | 81952 | 12035 | -10685 | 23991 | 5151 | -4573 | 0.295 | 483 | 27 | 0.056
2/13/2025 | 6 | 87850 | 12705 | -11705 | 25156 | 5437 | -5010 | 0.288 | 734 | 44 | 0.06
2/13/2025 | 7 | 94079 | 13567 | -13201 | 25863 | 5806 | -5650 | 0.275 | 1198 | 218 | 0.182
2/13/2025 | 8 | 97245 | 12988 | -12694 | 25444 | 5559 | -5433 | 0.262 | 1461 | 325 | 0.222
2/13/2025 | 9 | 97441 | 12344 | -11937 | 25542 | 5283 | -5109 | 0.263 | 1831 | 545 | 0.298
2/13/2025 | 10 | 95981 | 12850 | -12058 | 25056 | 5500 | -5161 | 0.262 | 1083 | 162 | 0.15
2/13/2025 | 11 | 94047 | 13070 | -12195 | 24511 | 5594 | -5220 | 0.262 | 212 | 16 | 0.075
2/13/2025 | 12 | 93346 | 12850 | -12177 | 23927 | 5500 | -5212 | 0.258 | 534 | 35 | 0.066
2/13/2025 | 13 | 92925 | 12888 | -12250 | 23946 | 5516 | -5243 | 0.259 | 32 | 4 | 0.125
2/13/2025 | 14 | 91778 | 12719 | -12265 | 24458 | 5444 | -5250 | 0.267 | 8 | 1 | 0.125
2/13/2025 | 15 | 91348 | 13283 | -12849 | 25039 | 5685 | -5500 | 0.275 | 0 | 0 | 0
2/13/2025 | 16 | 92420 | 13304 | -12906 | 25595 | 5694 | -5524 | 0.278 | 178 | 17 | 0.096
2/13/2025 | 17 | 94859 | 14255 | -13371 | 26782 | 6101 | -5723 | 0.284 | 1082 | 144 | 0.133
2/13/2025 | 18 | 96244 | 14935 | -13797 | 27350 | 6392 | -5905 | 0.286 | 860 | 93 | 0.108
2/13/2025 | 19 | 96341 | 14646 | -13369 | 27976 | 6269 | -5722 | 0.292 | 802 | 93 | 0.116
2/13/2025 | 20 | 94220 | 14312 | -13043 | 27537 | 6126 | -5582 | 0.294 | 1073 | 221 | 0.206
2/13/2025 | 21 | 91587 | 13618 | -12576 | 26845 | 5829 | -5382 | 0.295 | 826 | 99 | 0.12
2/13/2025 | 22 | 87578 | 13451 | -12253 | 25789 | 5757 | -5244 | 0.296 | 800 | 140 | 0.175
2/13/2025 | 23 | 83555 | 12494 | -11067 | 24604 | 5347 | -4737 | 0.297 | 413 | 49 | 0.119
2/13/2025 | 24 | 79653 | 11975 | -10498 | 23686 | 5125 | -4493 | 0.3 | 286 | 31 | 0.108
2/14/2025 | 1 | 77538 | 11482 | -9988 | 22879 | 4915 | -4275 | 0.298 | 390 | 35 | 0.09
2/14/2025 | 2 | 75556 | 11553 | -9972 | 22056 | 4945 | -4268 | 0.295 | 392 | 37 | 0.094
2/14/2025 | 3 | 74465 | 11791 | -10203 | 21722 | 5046 | -4367 | 0.295 | 332 | 26 | 0.078
2/14/2025 | 4 | 74545 | 11857 | -10134 | 21625 | 5075 | -4337 | 0.293 | 344 | 4 | 0.012
2/14/2025 | 5 | 76660 | 11775 | -10307 | 22017 | 5040 | -4411 | 0.29 | 393 | 3 | 0.008
2/14/2025 | 6 | 81464 | 12656 | -10997 | 23020 | 5417 | -4707 | 0.285 | 984 | 144 | 0.146
2/14/2025 | 7 | 87636 | 13592 | -12517 | 23842 | 5817 | -5357 | 0.274 | 2040 | 489 | 0.24
2/14/2025 | 8 | 90431 | 12791 | -11904 | 22774 | 5474 | -5095 | 0.254 | 974 | 181 | 0.186
2/14/2025 | 9 | 89199 | 12335 | -11824 | 19284 | 5279 | -5060 | 0.217 | 0 | 0 | 0
2/14/2025 | 10 | 86644 | 12489 | -11942 | 16982 | 5345 | -5111 | 0.197 | 0 | 0 | 0
2/14/2025 | 11 | 83705 | 12489 | -12113 | 15647 | 5345 | -5184 | 0.188 | 0 | 0 | 0
2/14/2025 | 12 | 80941 | 12598 | -12473 | 15236 | 5392 | -5338 | 0.189 | 0 | 0 | 0
2/14/2025 | 13 | 79346 | 12805 | -12532 | 14978 | 5480 | -5363 | 0.19 | 0 | 0 | 0
2/14/2025 | 14 | 77859 | 13196 | -12719 | 14780 | 5648 | -5444 | 0.191 | 0 | 0 | 0
2/14/2025 | 15 | 78246 | 13145 | -12964 | 14804 | 5626 | -5549 | 0.19 | 0 | 0 | 0
2/14/2025 | 16 | 79474 | 13143 | -13060 | 15697 | 5625 | -5590 | 0.198 | 0 | 0 | 0
2/14/2025 | 17 | 83070 | 14155 | -13524 | 18401 | 6058 | -5788 | 0.223 | 55 | 4 | 0.073
2/14/2025 | 18 | 88570 | 14880 | -14000 | 21327 | 6369 | -5992 | 0.243 | 829 | 46 | 0.055
2/14/2025 | 19 | 89809 | 15552 | -14591 | 22434 | 6656 | -6245 | 0.252 | 1293 | 184 | 0.142
2/14/2025 | 20 | 88371 | 14535 | -13475 | 22642 | 6221 | -5767 | 0.258 | 930 | 71 | 0.076
2/14/2025 | 21 | 85980 | 14314 | -12947 | 22924 | 6126 | -5541 | 0.269 | 762 | 59 | 0.077
2/14/2025 | 22 | 83878 | 13986 | -12763 | 22902 | 5986 | -5462 | 0.275 | 1107 | 102 | 0.092
2/14/2025 | 23 | 80400 | 13796 | -12411 | 22566 | 5905 | -5312 | 0.283 | 852 | 90 | 0.106
2/14/2025 | 24 | 76817 | 13396 | -11711 | 22178 | 5734 | -5013 | 0.292 | 631 | 86 | 0.136
2/15/2025 | 1 | 74928 | 12440 | -10912 | 22212 | 5324 | -4670 | 0.299 | 369 | 2 | 0.005
2/15/2025 | 2 | 73032 | 12016 | -10490 | 21890 | 5143 | -4490 | 0.302 | 427 | 12 | 0.028
2/15/2025 | 3 | 72204 | 11899 | -10310 | 21795 | 5093 | -4413 | 0.305 | 446 | 15 | 0.034
2/15/2025 | 4 | 72195 | 12028 | -10492 | 21842 | 5148 | -4490 | 0.305 | 621 | 70 | 0.113
2/15/2025 | 5 | 73772 | 11874 | -10647 | 22008 | 5082 | -4557 | 0.3 | 604 | 16 | 0.026
2/15/2025 | 6 | 76554 | 12367 | -11357 | 22572 | 5293 | -4861 | 0.297 | 890 | 137 | 0.154
2/15/2025 | 7 | 79794 | 13159 | -12247 | 22636 | 5632 | -5242 | 0.285 | 957 | 164 | 0.171
2/15/2025 | 8 | 80913 | 12658 | -12087 | 20308 | 5418 | -5173 | 0.252 | 326 | 41 | 0.126
2/15/2025 | 9 | 80364 | 12002 | -12091 | 16044 | 5137 | -5175 | 0.199 | 0 | 0 | 0
2/15/2025 | 10 | 78550 | 11871 | -12194 | 15402 | 5081 | -5219 | 0.195 | 0 | 0 | 0
2/15/2025 | 11 | 75520 | 11939 | -12572 | 14773 | 5110 | -5381 | 0.194 | 0 | 0 | 0
2/15/2025 | 12 | 73076 | 12232 | -12835 | 14636 | 5235 | -5493 | 0.198 | 0 | 0 | 0
2/15/2025 | 13 | 71226 | 12078 | -12535 | 14498 | 5170 | -5365 | 0.202 | 0 | 0 | 0
2/15/2025 | 14 | 71130 | 12299 | -12946 | 13642 | 5264 | -5541 | 0.19 | 0 | 0 | 0
2/15/2025 | 15 | 72383 | 12557 | -13064 | 14322 | 5374 | -5591 | 0.196 | 0 | 0 | 0
2/15/2025 | 16 | 75580 | 12391 | -12413 | 15703 | 5303 | -5313 | 0.208 | 0 | 0 | 0
2/15/2025 | 17 | 80424 | 12133 | -11305 | 19731 | 5193 | -4839 | 0.247 | 0 | 0 | 0
2/15/2025 | 18 | 84568 | 13791 | -12649 | 22761 | 5902 | -5414 | 0.271 | 763 | 50 | 0.066
2/15/2025 | 19 | 85815 | 13250 | -12171 | 23862 | 5671 | -5209 | 0.28 | 645 | 6 | 0.009
2/15/2025 | 20 | 84268 | 12750 | -11663 | 24091 | 5458 | -4992 | 0.288 | 522 | 1 | 0.002
2/15/2025 | 21 | 82442 | 12458 | -11321 | 24216 | 5332 | -4846 | 0.296 | 609 | 3 | 0.005
2/15/2025 | 22 | 79690 | 12512 | -11133 | 24129 | 5355 | -4765 | 0.305 | 672 | 16 | 0.024
2/15/2025 | 23 | 77474 | 11470 | -10499 | 23967 | 4909 | -4494 | 0.311 | 373 | 27 | 0.072
2/15/2025 | 24 | 74384 | 11486 | -10228 | 23508 | 4916 | -4378 | 0.318 | 581 | 104 | 0.179
2/16/2025 | 1 | 72506 | 12230 | -10824 | 23293 | 5235 | -4633 | 0.323 | 760 | 179 | 0.236
2/16/2025 | 3 | 69899 | 12042 | -10309 | 22988 | 5154 | -4412 | 0.331 | 848 | 194 | 0.229
2/16/2025 | 4 | 70088 | 11817 | -10189 | 22987 | 5058 | -4361 | 0.33 | 959 | 198 | 0.206
2/16/2025 | 5 | 70765 | 11971 | -10337 | 23092 | 5124 | -4424 | 0.329 | 811 | 138 | 0.17
2/16/2025 | 6 | 72975 | 12595 | -11154 | 23234 | 5391 | -4774 | 0.321 | 315 | 17 | 0.054
2/16/2025 | 7 | 75310 | 11646 | -10340 | 23142 | 4984 | -4426 | 0.309 | 307 | 14 | 0.046
2/16/2025 | 8 | 76381 | 10946 | -10170 | 21054 | 4685 | -4353 | 0.277 | 625 | 128 | 0.205
2/16/2025 | 9 | 76211 | 10426 | -10577 | 17532 | 4462 | -4527 | 0.23 | 0 | 0 | 0
2/16/2025 | 10 | 74798 | 10470 | -10754 | 15417 | 4481 | -4603 | 0.205 | 0 | 0 | 0
2/16/2025 | 11 | 73098 | 10394 | -10715 | 14724 | 4449 | -4586 | 0.2 | 0 | 0 | 0
2/16/2025 | 12 | 71595 | 10770 | -11061 | 14612 | 4610 | -4734 | 0.203 | 0 | 0 | 0
2/16/2025 | 13 | 70375 | 10656 | -10710 | 14393 | 4561 | -4583 | 0.204 | 0 | 0 | 0
2/16/2025 | 14 | 70848 | 10848 | -11013 | 14765 | 4643 | -4714 | 0.208 | 0 | 0 | 0
2/16/2025 | 15 | 72153 | 10542 | -10615 | 15336 | 4512 | -4543 | 0.212 | 0 | 0 | 0
2/16/2025 | 16 | 74633 | 10507 | -10449 | 16464 | 4497 | -4472 | 0.221 | 0 | 0 | 0
2/16/2025 | 17 | 78308 | 10331 | -9132 | 19958 | 4422 | -3908 | 0.257 | 274 | 17 | 0.062
2/16/2025 | 18 | 82735 | 11610 | -10051 | 22261 | 4969 | -4302 | 0.272 | 1107 | 179 | 0.162
2/16/2025 | 19 | 83853 | 11460 | -10086 | 23059 | 4905 | -4317 | 0.277 | 1337 | 286 | 0.214
2/16/2025 | 20 | 82336 | 11486 | -10067 | 22770 | 4916 | -4309 | 0.279 | 1037 | 180 | 0.174
2/16/2025 | 21 | 80897 | 11361 | -10013 | 23062 | 4862 | -4285 | 0.287 | 1323 | 293 | 0.221
2/16/2025 | 22 | 77724 | 11553 | -9757 | 22968 | 4944 | -4176 | 0.298 | 1455 | 301 | 0.207
2/16/2025 | 23 | 74371 | 12580 | -10851 | 22313 | 5384 | -4644 | 0.303 | 835 | 182 | 0.218
2/16/2025 | 24 | 71478 | 12572 | -10820 | 21649 | 5381 | -4631 | 0.306 | 505 | 45 | 0.089
2/17/2025 | 1 | 69747 | 11723 | -10085 | 20925 | 5018 | -4316 | 0.303 | 512 | 14 | 0.027
2/17/2025 | 2 | 68251 | 11849 | -10175 | 20556 | 5071 | -4355 | 0.304 | 522 | 34 | 0.065
2/17/2025 | 3 | 67312 | 11788 | -10068 | 20396 | 5045 | -4309 | 0.306 | 480 | 0 | 0
2/17/2025 | 4 | 67866 | 11251 | -9531 | 20409 | 4815 | -4079 | 0.304 | 461 | 0 | 0
2/17/2025 | 5 | 70275 | 11733 | -10323 | 20874 | 5022 | -4418 | 0.3 | 570 | 9 | 0.016
2/17/2025 | 6 | 74727 | 12218 | -10906 | 21444 | 5229 | -4668 | 0.289 | 693 | 15 | 0.022
2/17/2025 | 7 | 78558 | 13808 | -12251 | 21692 | 5910 | -5243 | 0.279 | 1061 | 186 | 0.175
2/17/2025 | 8 | 79902 | 13197 | -11870 | 20149 | 5648 | -5080 | 0.255 | 1012 | 203 | 0.201
2/17/2025 | 9 | 79151 | 13971 | -13155 | 16650 | 5979 | -5630 | 0.213 | 0 | 0 | 0
2/17/2025 | 10 | 78612 | 13956 | -13485 | 15159 | 5973 | -5771 | 0.194 | 0 | 0 | 0
2/17/2025 | 11 | 76671 | 14248 | -13839 | 14557 | 6098 | -5923 | 0.191 | 0 | 0 | 0
2/17/2025 | 12 | 74249 | 14743 | -14267 | 14272 | 6310 | -6106 | 0.194 | 0 | 0 | 0
2/17/2025 | 13 | 73619 | 14554 | -14166 | 14092 | 6229 | -6063 | 0.193 | 0 | 0 | 0
2/17/2025 | 14 | 72850 | 14448 | -13873 | 14168 | 6184 | -5938 | 0.196 | 0 | 0 | 0
2/17/2025 | 15 | 74162 | 14304 | -13702 | 14763 | 6122 | -5864 | 0.201 | 0 | 0 | 0
2/17/2025 | 16 | 76202 | 14064 | -13262 | 15919 | 6020 | -5676 | 0.211 | 0 | 0 | 0
2/17/2025 | 17 | 80114 | 13757 | -12124 | 18973 | 5888 | -5189 | 0.241 | 187 | 2 | 0.011
2/17/2025 | 18 | 85324 | 14416 | -12802 | 21584 | 6170 | -5480 | 0.256 | 1077 | 108 | 0.1
2/17/2025 | 19 | 86851 | 14426 | -13036 | 22496 | 6174 | -5579 | 0.262 | 731 | 18 | 0.025
2/17/2025 | 20 | 85230 | 14640 | -13144 | 22506 | 6266 | -5626 | 0.267 | 823 | 21 | 0.026
2/17/2025 | 21 | 83032 | 14020 | -12353 | 22469 | 6001 | -5287 | 0.274 | 1197 | 178 | 0.149
2/17/2025 | 22 | 79834 | 13514 | -11945 | 22400 | 5784 | -5113 | 0.283 | 1568 | 244 | 0.156
2/17/2025 | 23 | 76207 | 11883 | -10635 | 22117 | 5086 | -4552 | 0.292 | 1162 | 230 | 0.198
2/17/2025 | 24 | 72528 | 11942 | -10792 | 21666 | 5111 | -4619 | 0.301 | 1180 | 304 | 0.258
2/18/2025 | 1 | 70105 | 11639 | -10041 | 21324 | 4981 | -4298 | 0.307 | 1413 | 382 | 0.27
2/18/2025 | 2 | 68439 | 11462 | -9682 | 20951 | 4906 | -4144 | 0.309 | 1671 | 463 | 0.277
2/18/2025 | 3 | 68112 | 10838 | -9585 | 20872 | 4638 | -4102 | 0.309 | 1556 | 384 | 0.247
2/18/2025 | 4 | 68734 | 10603 | -9511 | 20836 | 4538 | -4071 | 0.305 | 1387 | 286 | 0.206
2/18/2025 | 5 | 71491 | 10919 | -10007 | 21650 | 4673 | -4283 | 0.304 | 1182 | 239 | 0.202
2/18/2025 | 6 | 77213 | 11950 | -11286 | 22528 | 5115 | -4831 | 0.293 | 1194 | 210 | 0.176
2/18/2025 | 7 | 82904 | 13812 | -13015 | 23499 | 5912 | -5570 | 0.285 | 1689 | 325 | 0.192
2/18/2025 | 8 | 85236 | 13105 | -12906 | 21810 | 5609 | -5524 | 0.256 | 1395 | 323 | 0.232
2/18/2025 | 9 | 82853 | 13433 | -13815 | 17209 | 5750 | -5913 | 0.207 | 0 | 0 | 0
2/18/2025 | 10 | 79614 | 13633 | -14186 | 15589 | 5835 | -6072 | 0.194 | 0 | 0 | 0
2/18/2025 | 11 | 75600 | 14322 | -14775 | 14975 | 6129 | -6324 | 0.197 | 0 | 0 | 0
2/18/2025 | 12 | 72766 | 14691 | -15067 | 14389 | 6288 | -6448 | 0.197 | 0 | 0 | 0
2/18/2025 | 13 | 72061 | 14559 | -15039 | 14497 | 6231 | -6437 | 0.2 | 68 | 11 | 0.162
2/18/2025 | 14 | 72300 | 14476 | -14980 | 14471 | 6196 | -6411 | 0.199 | 271 | 3 | 0.011
2/18/2025 | 15 | 73715 | 14549 | -15091 | 14945 | 6227 | -6459 | 0.201 | 395 | 10 | 0.025
2/18/2025 | 16 | 76968 | 14282 | -14585 | 16446 | 6113 | -6242 | 0.213 | 221 | 31 | 0.14
2/18/2025 | 17 | 80944 | 14021 | -13629 | 20758 | 6001 | -5833 | 0.257 | 58 | 4 | 0.069
2/18/2025 | 18 | 86062 | 14146 | -13660 | 24369 | 6054 | -5846 | 0.284 | 1082 | 163 | 0.151
2/18/2025 | 19 | 87892 | 14544 | -13851 | 25564 | 6225 | -5928 | 0.292 | 1142 | 254 | 0.222
2/18/2025 | 20 | 85945 | 14897 | -13883 | 25534 | 6376 | -5942 | 0.299 | 1267 | 262 | 0.207
2/18/2025 | 21 | 83552 | 15217 | -14043 | 25620 | 6513 | -6010 | 0.308 | 1816 | 466 | 0.257
2/18/2025 | 22 | 80053 | 14719 | -13355 | 25499 | 6300 | -5716 | 0.32 | 2357 | 979 | 0.415
2/18/2025 | 23 | 75945 | 12303 | -10684 | 25697 | 5266 | -4573 | 0.34 | 1674 | 427 | 0.255
2/18/2025 | 24 | 72251 | 12382 | -10686 | 25324 | 5299 | -4574 | 0.352 | 1594 | 401 | 0.252
2/19/2025 | 1 | 70279 | 12056 | -10589 | 24970 | 5160 | -4532 | 0.357 | 1326 | 317 | 0.239
2/19/2025 | 2 | 68566 | 11920 | -10269 | 24444 | 5102 | -4395 | 0.358 | 1036 | 301 | 0.291
2/19/2025 | 3 | 67852 | 12107 | -10559 | 24454 | 5182 | -4520 | 0.362 | 999 | 329 | 0.329
2/19/2025 | 4 | 68264 | 11920 | -10403 | 24824 | 5102 | -4452 | 0.365 | 950 | 276 | 0.291
2/19/2025 | 5 | 70887 | 12275 | -10696 | 25325 | 5254 | -4578 | 0.359 | 930 | 236 | 0.254
2/19/2025 | 6 | 76228 | 13101 | -11513 | 26331 | 5607 | -4928 | 0.347 | 1409 | 354 | 0.251
2/19/2025 | 7 | 82209 | 14742 | -13219 | 26925 | 6309 | -5658 | 0.329 | 1486 | 377 | 0.254
2/19/2025 | 8 | 83783 | 13542 | -12412 | 24529 | 5796 | -5312 | 0.295 | 712 | 150 | 0.211
2/19/2025 | 9 | 81406 | 12849 | -12301 | 20527 | 5499 | -5265 | 0.253 | 12 | 0 | 0
2/19/2025 | 10 | 78586 | 13426 | -12801 | 18313 | 5746 | -5479 | 0.235 | 0 | 0 | 0
2/19/2025 | 11 | 76136 | 13499 | -12775 | 17181 | 5777 | -5467 | 0.228 | 0 | 0 | 0
2/19/2025 | 12 | 75526 | 14148 | -13522 | 17112 | 6055 | -5787 | 0.228 | 0 | 0 | 0
2/19/2025 | 13 | 74735 | 14533 | -13830 | 17051 | 6220 | -5919 | 0.23 | 0 | 0 | 0
2/19/2025 | 14 | 74700 | 14240 | -13453 | 17151 | 6094 | -5758 | 0.232 | 0 | 0 | 0
2/19/2025 | 15 | 75507 | 14125 | -13582 | 17156 | 6045 | -5813 | 0.229 | 0 | 0 | 0
2/19/2025 | 16 | 78001 | 13632 | -13013 | 18310 | 5834 | -5570 | 0.236 | 0 | 0 | 0
2/19/2025 | 17 | 81317 | 13069 | -11971 | 20776 | 5594 | -5124 | 0.258 | 39 | 4 | 0.103
2/19/2025 | 18 | 85667 | 14615 | -13161 | 23027 | 6255 | -5633 | 0.271 | 982 | 208 | 0.212
2/19/2025 | 19 | 86947 | 15426 | -13769 | 23635 | 6602 | -5893 | 0.275 | 1075 | 234 | 0.218
2/19/2025 | 20 | 85633 | 15304 | -13708 | 23645 | 6550 | -5867 | 0.279 | 928 | 157 | 0.169
2/19/2025 | 21 | 82966 | 15131 | -13484 | 23276 | 6476 | -5771 | 0.283 | 1320 | 234 | 0.177
2/19/2025 | 22 | 79300 | 14793 | -13083 | 23121 | 6331 | -5600 | 0.294 | 841 | 125 | 0.149
2/19/2025 | 23 | 75516 | 13083 | -11262 | 22469 | 5600 | -4820 | 0.301 | 632 | 103 | 0.163
2/19/2025 | 24 | 71990 | 12624 | -10857 | 22011 | 5403 | -4647 | 0.309 | 799 | 154 | 0.193
2/20/2025 | 1 | 69447 | 12962 | -11012 | 21409 | 5548 | -4713 | 0.312 | 230 | 0 | 0
2/20/2025 | 2 | 67553 | 12869 | -10954 | 21136 | 5508 | -4688 | 0.316 | 364 | 0 | 0
2/20/2025 | 3 | 66786 | 12819 | -10758 | 21075 | 5486 | -4604 | 0.319 | 283 | 0 | 0
2/20/2025 | 4 | 67527 | 12816 | -10786 | 21183 | 5485 | -4617 | 0.317 | 370 | 0 | 0
2/20/2025 | 5 | 70076 | 13223 | -11058 | 21602 | 5660 | -4733 | 0.312 | 184 | 0 | 0
2/20/2025 | 6 | 76109 | 13237 | -11538 | 22548 | 5665 | -4938 | 0.299 | 37 | 0 | 0
2/20/2025 | 7 | 82294 | 13833 | -12405 | 22989 | 5920 | -5309 | 0.282 | 146 | 12 | 0.082
2/20/2025 | 8 | 84619 | 13121 | -11995 | 21104 | 5616 | -5134 | 0.252 | 292 | 20 | 0.068
2/20/2025 | 9 | 82312 | 12459 | -11804 | 17372 | 5333 | -5052 | 0.213 | 0 | 0 | 0
2/20/2025 | 10 | 78711 | 13036 | -12679 | 15972 | 5580 | -5426 | 0.204 | 0 | 0 | 0
2/20/2025 | 11 | 74622 | 13013 | -12606 | 14979 | 5570 | -5395 | 0.202 | 0 | 0 | 0
2/20/2025 | 12 | 72601 | 12461 | -12326 | 14422 | 5333 | -5276 | 0.199 | 0 | 0 | 0
2/20/2025 | 13 | 71440 | 12501 | -12242 | 14461 | 5350 | -5240 | 0.203 | 0 | 0 | 0
2/20/2025 | 14 | 71023 | 12469 | -12159 | 14578 | 5337 | -5204 | 0.206 | 0 | 0 | 0
2/20/2025 | 15 | 71838 | 12508 | -12239 | 14513 | 5353 | -5238 | 0.203 | 0 | 0 | 0
2/20/2025 | 16 | 73977 | 12452 | -12181 | 15849 | 5329 | -5213 | 0.215 | 0 | 0 | 0
2/20/2025 | 17 | 77970 | 11914 | -10872 | 19295 | 5099 | -4653 | 0.25 | 0 | 0 | 0
2/20/2025 | 18 | 83986 | 12719 | -11573 | 23244 | 5444 | -4953 | 0.279 | 419 | 41 | 0.098
2/20/2025 | 19 | 85784 | 12812 | -11593 | 24717 | 5484 | -4962 | 0.29 | 615 | 70 | 0.114
2/20/2025 | 20 | 84687 | 12946 | -11914 | 25344 | 5541 | -5099 | 0.301 | 567 | 73 | 0.129
2/20/2025 | 21 | 82735 | 12453 | -11311 | 25220 | 5330 | -4841 | 0.307 | 584 | 38 | 0.065
2/20/2025 | 22 | 79656 | 12325 | -10926 | 25199 | 5275 | -4677 | 0.318 | 769 | 97 | 0.126
2/20/2025 | 23 | 75345 | 11802 | -10148 | 24782 | 5051 | -4344 | 0.331 | 686 | 91 | 0.133
2/20/2025 | 24 | 71312 | 11989 | -9882 | 24122 | 5131 | -4229 | 0.341 | 1104 | 224 | 0.203
2/21/2025 | 1 | 69002 | 12822 | -10200 | 23685 | 5488 | -4366 | 0.346 | 415 | 60 | 0.145
2/21/2025 | 2 | 67480 | 12791 | -10431 | 23262 | 5474 | -4464 | 0.348 | 116 | 21 | 0.181
2/21/2025 | 3 | 66170 | 12499 | -9868 | 22932 | 5350 | -4223 | 0.35 | 238 | 22 | 0.092
2/21/2025 | 4 | 66930 | 11999 | -9647 | 22786 | 5136 | -4129 | 0.343 | 71 | 3 | 0.042
2/21/2025 | 5 | 69628 | 12273 | -10176 | 23318 | 5253 | -4355 | 0.338 | 0 | 0 | 0
2/21/2025 | 6 | 74926 | 12827 | -10789 | 24025 | 5490 | -4618 | 0.323 | 102 | 12 | 0.118
2/21/2025 | 7 | 80903 | 13684 | -11687 | 24373 | 5857 | -5002 | 0.304 | 839 | 110 | 0.131
2/21/2025 | 8 | 82448 | 12632 | -10833 | 22211 | 5406 | -4636 | 0.273 | 123 | 23 | 0.187
2/21/2025 | 9 | 80612 | 13102 | -11864 | 17583 | 5608 | -5078 | 0.221 | 0 | 0 | 0
2/21/2025 | 10 | 77100 | 13477 | -12408 | 15700 | 5768 | -5311 | 0.207 | 0 | 0 | 0
2/21/2025 | 11 | 74291 | 13174 | -12436 | 14953 | 5639 | -5323 | 0.204 | 0 | 0 | 0
2/21/2025 | 12 | 71632 | 13082 | -12306 | 14670 | 5599 | -5267 | 0.207 | 0 | 0 | 0
2/21/2025 | 13 | 70717 | 13114 | -12248 | 14282 | 5612 | -5242 | 0.205 | 0 | 0 | 0
2/21/2025 | 14 | 70386 | 13366 | -12420 | 14199 | 5720 | -5316 | 0.205 | 0 | 0 | 0
2/21/2025 | 15 | 71313 | 13520 | -12595 | 14586 | 5787 | -5391 | 0.207 | 0 | 0 | 0
2/21/2025 | 16 | 73828 | 13453 | -12412 | 15142 | 5758 | -5313 | 0.208 | 0 | 0 | 0
2/21/2025 | 17 | 77050 | 12599 | -10437 | 18191 | 5392 | -4467 | 0.241 | 0 | 0 | 0
2/21/2025 | 18 | 81965 | 13536 | -11379 | 21603 | 5793 | -4870 | 0.268 | 512 | 14 | 0.027
2/21/2025 | 19 | 82964 | 13284 | -11162 | 22297 | 5685 | -4778 | 0.273 | 837 | 102 | 0.122
2/21/2025 | 20 | 81032 | 12985 | -10733 | 22284 | 5557 | -4594 | 0.279 | 743 | 30 | 0.04
2/21/2025 | 21 | 78910 | 12845 | -10229 | 22067 | 5498 | -4378 | 0.284 | 920 | 126 | 0.137
2/21/2025 | 22 | 76182 | 12850 | -10170 | 22046 | 5500 | -4353 | 0.294 | 1051 | 201 | 0.191
2/21/2025 | 23 | 73166 | 12704 | -10000 | 21748 | 5437 | -4280 | 0.302 | 948 | 209 | 0.22
2/21/2025 | 24 | 70046 | 12707 | -9857 | 21148 | 5439 | -4219 | 0.307 | 884 | 176 | 0.199
2/22/2025 | 1 | 67211 | 13578 | -10336 | 20452 | 5811 | -4424 | 0.31 | 643 | 128 | 0.199
2/22/2025 | 2 | 65612 | 13815 | -10395 | 19957 | 5913 | -4449 | 0.31 | 762 | 190 | 0.249
2/22/2025 | 3 | 64350 | 13998 | -10597 | 19689 | 5991 | -4536 | 0.312 | 910 | 257 | 0.282
2/22/2025 | 4 | 64324 | 13780 | -10577 | 19359 | 5898 | -4527 | 0.307 | 603 | 142 | 0.235
2/22/2025 | 5 | 65267 | 13735 | -10649 | 19494 | 5879 | -4558 | 0.305 | 310 | 26 | 0.084
2/22/2025 | 6 | 67838 | 13632 | -10604 | 19643 | 5834 | -4538 | 0.295 | 438 | 8 | 0.018
2/22/2025 | 7 | 70633 | 13637 | -10759 | 18783 | 5837 | -4605 | 0.272 | 824 | 141 | 0.171
2/22/2025 | 8 | 71219 | 12371 | -10007 | 15483 | 5295 | -4283 | 0.224 | 520 | 109 | 0.21
2/22/2025 | 9 | 70752 | 12752 | -11539 | 12473 | 5458 | -4939 | 0.181 | 76 | 0 | 0
2/22/2025 | 10 | 68001 | 12576 | -11482 | 11699 | 5382 | -4914 | 0.176 | 0 | 0 | 0
2/22/2025 | 11 | 66297 | 12918 | -11859 | 11452 | 5529 | -5076 | 0.177 | 0 | 0 | 0
2/22/2025 | 12 | 64739 | 12802 | -11898 | 11070 | 5479 | -5092 | 0.175 | 0 | 0 | 0
2/22/2025 | 13 | 63354 | 12998 | -12116 | 11361 | 5563 | -5186 | 0.183 | 0 | 0 | 0
2/22/2025 | 14 | 64098 | 12795 | -11954 | 11201 | 5476 | -5116 | 0.178 | 0 | 0 | 0
2/22/2025 | 15 | 66009 | 12620 | -11980 | 11321 | 5401 | -5127 | 0.174 | 0 | 0 | 0
2/22/2025 | 16 | 68898 | 12618 | -11850 | 12392 | 5400 | -5072 | 0.183 | 14 | 0 | 0
2/22/2025 | 17 | 72008 | 12460 | -10192 | 14733 | 5333 | -4362 | 0.211 | 15 | 0 | 0
2/22/2025 | 18 | 76859 | 13248 | -10600 | 18000 | 5670 | -4537 | 0.241 | 1420 | 116 | 0.082
2/22/2025 | 19 | 78562 | 14120 | -11514 | 18413 | 6043 | -4928 | 0.241 | 1398 | 102 | 0.073
2/22/2025 | 20 | 76975 | 14224 | -11567 | 18099 | 6088 | -4951 | 0.242 | 1573 | 146 | 0.093
2/22/2025 | 21 | 74855 | 14503 | -11858 | 17442 | 6207 | -5075 | 0.24 | 1185 | 101 | 0.085
2/22/2025 | 22 | 72513 | 14819 | -12180 | 16808 | 6343 | -5213 | 0.239 | 1236 | 85 | 0.069
2/22/2025 | 23 | 69308 | 15083 | -12330 | 15930 | 6455 | -5277 | 0.237 | 801 | 6 | 0.007
2/22/2025 | 24 | 66880 | 15166 | -12435 | 15548 | 6491 | -5322 | 0.24 | 826 | 16 | 0.019
2/23/2025 | 1 | 65097 | 15388 | -12912 | 15165 | 6586 | -5526 | 0.24 | 920 | 39 | 0.042
2/23/2025 | 2 | 62991 | 15479 | -12988 | 14718 | 6625 | -5559 | 0.241 | 964 | 35 | 0.036
2/23/2025 | 3 | 62010 | 15328 | -12925 | 15127 | 6560 | -5532 | 0.251 | 883 | 0 | 0
2/23/2025 | 4 | 61888 | 15432 | -13005 | 14939 | 6605 | -5566 | 0.248 | 978 | 52 | 0.053
2/23/2025 | 5 | 62541 | 15723 | -13211 | 14487 | 6730 | -5654 | 0.239 | 936 | 17 | 0.018
2/23/2025 | 6 | 64858 | 16108 | -13660 | 14400 | 6895 | -5846 | 0.23 | 682 | 18 | 0.026
2/23/2025 | 7 | 67624 | 14309 | -12532 | 14534 | 6124 | -5364 | 0.22 | 885 | 207 | 0.234
2/23/2025 | 8 | 68318 | 11976 | -10887 | 12105 | 5126 | -4660 | 0.181 | 512 | 71 | 0.139
2/23/2025 | 9 | 68296 | 11130 | -11042 | 10621 | 4764 | -4726 | 0.156 | 96 | 0 | 0
2/23/2025 | 10 | 67314 | 11680 | -11605 | 10519 | 4999 | -4967 | 0.157 | 0 | 0 | 0
2/23/2025 | 11 | 65805 | 11713 | -11542 | 10503 | 5013 | -4940 | 0.16 | 0 | 0 | 0
2/23/2025 | 12 | 64084 | 11810 | -11361 | 10245 | 5055 | -4862 | 0.162 | 0 | 0 | 0
2/23/2025 | 13 | 63506 | 12013 | -11456 | 10060 | 5142 | -4903 | 0.161 | 0 | 0 | 0
2/23/2025 | 14 | 64436 | 11690 | -11199 | 9949 | 5003 | -4793 | 0.156 | 0 | 0 | 0
2/23/2025 | 15 | 66506 | 11963 | -11413 | 10071 | 5121 | -4885 | 0.154 | 0 | 0 | 0
2/23/2025 | 16 | 69119 | 12308 | -11585 | 10918 | 5268 | -4958 | 0.161 | 0 | 0 | 0
2/23/2025 | 17 | 72610 | 13630 | -11709 | 13579 | 5834 | -5012 | 0.193 | 0 | 0 | 0
2/23/2025 | 18 | 77200 | 16389 | -13673 | 16158 | 7015 | -5852 | 0.217 | 547 | 24 | 0.044
2/23/2025 | 19 | 79073 | 17113 | -14195 | 16504 | 7324 | -6076 | 0.217 | 430 | 11 | 0.026
2/23/2025 | 20 | 77956 | 17100 | -14470 | 16462 | 7318 | -6193 | 0.218 | 574 | 5 | 0.009
2/23/2025 | 21 | 75700 | 17254 | -14583 | 16051 | 7384 | -6242 | 0.219 | 929 | 24 | 0.026
2/23/2025 | 22 | 72530 | 17112 | -14468 | 15952 | 7324 | -6192 | 0.227 | 1209 | 77 | 0.064
2/23/2025 | 23 | 68603 | 17444 | -14776 | 15244 | 7466 | -6324 | 0.23 | 970 | 50 | 0.052
2/23/2025 | 24 | 65116 | 17030 | -14524 | 14959 | 7289 | -6216 | 0.237 | 705 | 48 | 0.068
2/24/2025 | 1 | 63483 | 17191 | -14624 | 15182 | 7358 | -6259 | 0.246 | 661 | 76 | 0.115
2/24/2025 | 2 | 62029 | 16816 | -14093 | 15018 | 7198 | -6032 | 0.25 | 450 | 50 | 0.111
2/24/2025 | 3 | 62353 | 15570 | -13303 | 15577 | 6664 | -5694 | 0.256 | 663 | 68 | 0.103
2/24/2025 | 4 | 62861 | 15136 | -12721 | 15970 | 6478 | -5444 | 0.26 | 432 | 69 | 0.16
2/24/2025 | 5 | 65817 | 14623 | -12324 | 16773 | 6259 | -5275 | 0.261 | 404 | 46 | 0.114
2/24/2025 | 6 | 71833 | 14410 | -12520 | 17898 | 6168 | -5359 | 0.254 | 281 | 2 | 0.007
2/24/2025 | 7 | 77570 | 14735 | -12961 | 18578 | 6306 | -5548 | 0.244 | 445 | 48 | 0.108
2/24/2025 | 8 | 79723 | 14051 | -12533 | 15886 | 6014 | -5364 | 0.204 | 295 | 54 | 0.183
2/24/2025 | 9 | 78320 | 12522 | -12017 | 12855 | 5360 | -5143 | 0.166 | 0 | 0 | 0
2/24/2025 | 10 | 75477 | 12662 | -11985 | 11764 | 5420 | -5130 | 0.158 | 0 | 0 | 0
2/24/2025 | 11 | 73335 | 13112 | -12630 | 11440 | 5612 | -5406 | 0.158 | 0 | 0 | 0
2/24/2025 | 12 | 72588 | 13422 | -13113 | 11294 | 5745 | -5612 | 0.157 | 0 | 0 | 0
2/24/2025 | 13 | 72007 | 13812 | -13230 | 11338 | 5911 | -5662 | 0.16 | 0 | 0 | 0
2/24/2025 | 14 | 72302 | 13992 | -13359 | 11342 | 5988 | -5717 | 0.159 | 0 | 0 | 0
2/24/2025 | 15 | 74226 | 13728 | -13234 | 11651 | 5876 | -5664 | 0.159 | 93 | 6 | 0.065
2/24/2025 | 16 | 76143 | 13741 | -13087 | 12382 | 5881 | -5601 | 0.165 | 38 | 0 | 0
2/24/2025 | 17 | 79596 | 14703 | -12824 | 15030 | 6293 | -5488 | 0.194 | 0 | 0 | 0
2/24/2025 | 18 | 84103 | 15364 | -13634 | 18025 | 6576 | -5835 | 0.219 | 450 | 34 | 0.076
2/24/2025 | 19 | 84271 | 15865 | -14051 | 18030 | 6790 | -6014 | 0.218 | 589 | 18 | 0.031
2/24/2025 | 20 | 82740 | 16124 | -14194 | 18120 | 6901 | -6075 | 0.224 | 701 | 0 | 0
2/24/2025 | 21 | 80436 | 16179 | -14459 | 17958 | 6924 | -6188 | 0.228 | 453 | 15 | 0.033
2/24/2025 | 22 | 77368 | 15445 | -13767 | 17501 | 6610 | -5892 | 0.23 | 860 | 106 | 0.123
2/24/2025 | 23 | 72869 | 15134 | -13790 | 16881 | 6478 | -5902 | 0.235 | 629 | 105 | 0.167
2/24/2025 | 24 | 69056 | 15364 | -13880 | 16376 | 6576 | -5941 | 0.241 | 472 | 39 | 0.083
2/25/2025 | 1 | 67207 | 15554 | -14672 | 15068 | 6657 | -6280 | 0.227 | 465 | 18 | 0.039
2/25/2025 | 2 | 65438 | 16154 | -15140 | 14699 | 6914 | -6480 | 0.228 | 531 | 24 | 0.045
2/25/2025 | 3 | 64347 | 16733 | -15376 | 14457 | 7162 | -6581 | 0.229 | 455 | 27 | 0.059
2/25/2025 | 4 | 64897 | 16881 | -15476 | 14571 | 7225 | -6624 | 0.229 | 487 | 8 | 0.016
2/25/2025 | 5 | 67290 | 16644 | -15241 | 15090 | 7124 | -6523 | 0.228 | 431 | 23 | 0.053
2/25/2025 | 6 | 72668 | 17116 | -15790 | 16623 | 7326 | -6758 | 0.232 | 534 | 41 | 0.077
2/25/2025 | 7 | 78259 | 16249 | -14900 | 16990 | 6955 | -6377 | 0.221 | 1162 | 277 | 0.238
2/25/2025 | 8 | 79933 | 15130 | -14144 | 14012 | 6476 | -6054 | 0.178 | 1034 | 291 | 0.281
2/25/2025 | 9 | 78605 | 13065 | -13362 | 10930 | 5592 | -5719 | 0.138 | 0 | 0 | 0
2/25/2025 | 10 | 75954 | 13058 | -13274 | 10216 | 5589 | -5681 | 0.134 | 0 | 0 | 0
2/25/2025 | 11 | 73318 | 11728 | -11977 | 10003 | 5019 | -5126 | 0.135 | 0 | 0 | 0
2/25/2025 | 12 | 71580 | 12366 | -12727 | 10062 | 5293 | -5447 | 0.139 | 0 | 0 | 0
2/25/2025 | 13 | 70859 | 12420 | -12757 | 10040 | 5316 | -5460 | 0.14 | 0 | 0 | 0
2/25/2025 | 14 | 71327 | 12751 | -13504 | 10280 | 5458 | -5780 | 0.141 | 0 | 0 | 0
2/25/2025 | 15 | 72765 | 11764 | -12703 | 10892 | 5035 | -5437 | 0.146 | 0 | 0 | 0
2/25/2025 | 16 | 75126 | 11962 | -12970 | 11548 | 5120 | -5551 | 0.15 | 13 | 0 | 0
2/25/2025 | 17 | 78756 | 14045 | -14221 | 13908 | 6011 | -6087 | 0.176 | 0 | 0 | 0
2/25/2025 | 18 | 83757 | 15676 | -15225 | 17169 | 6709 | -6516 | 0.206 | 533 | 6 | 0.011
2/25/2025 | 19 | 85078 | 15854 | -15071 | 18789 | 6786 | -6451 | 0.223 | 811 | 10 | 0.012
2/25/2025 | 20 | 83774 | 15928 | -14871 | 19200 | 6817 | -6365 | 0.232 | 641 | 9 | 0.014
2/25/2025 | 21 | 80884 | 16545 | -15051 | 18405 | 7081 | -6442 | 0.231 | 949 | 89 | 0.094
2/25/2025 | 22 | 77181 | 16805 | -14997 | 18016 | 7192 | -6418 | 0.238 | 1072 | 192 | 0.179
2/25/2025 | 23 | 72732 | 16451 | -14404 | 17496 | 7041 | -6165 | 0.246 | 680 | 160 | 0.235
2/25/2025 | 24 | 68434 | 16459 | -13938 | 16999 | 7045 | -5965 | 0.255 | 647 | 147 | 0.227
2/26/2025 | 1 | 67048 | 12877 | -10639 | 17844 | 5511 | -4554 | 0.271 | 1290 | 383 | 0.297
2/26/2025 | 2 | 65440 | 12745 | -10279 | 18434 | 5455 | -4400 | 0.287 | 1183 | 318 | 0.269
2/26/2025 | 3 | 64723 | 12661 | -10193 | 18576 | 5419 | -4362 | 0.292 | 897 | 196 | 0.219
2/26/2025 | 4 | 64991 | 13302 | -10583 | 18959 | 5693 | -4529 | 0.297 | 657 | 107 | 0.163
2/26/2025 | 5 | 67587 | 13279 | -10585 | 19634 | 5683 | -4531 | 0.296 | 569 | 29 | 0.051
2/26/2025 | 6 | 73225 | 13861 | -11298 | 20489 | 5932 | -4836 | 0.285 | 129 | 21 | 0.163
2/26/2025 | 7 | 79750 | 14071 | -11744 | 20978 | 6022 | -5026 | 0.268 | 759 | 121 | 0.159
2/26/2025 | 8 | 81444 | 13530 | -12084 | 17308 | 5791 | -5172 | 0.216 | 253 | 29 | 0.115
2/26/2025 | 9 | 78041 | 12659 | -12141 | 13369 | 5418 | -5196 | 0.173 | 0 | 0 | 0
2/26/2025 | 10 | 73891 | 12165 | -11606 | 12133 | 5207 | -4968 | 0.166 | 0 | 0 | 0
2/26/2025 | 11 | 70434 | 11715 | -11137 | 11742 | 5014 | -4767 | 0.169 | 0 | 0 | 0
2/26/2025 | 12 | 67975 | 11768 | -11057 | 11769 | 5037 | -4732 | 0.176 | 0 | 0 | 0
2/26/2025 | 13 | 67060 | 11740 | -10940 | 11603 | 5025 | -4682 | 0.176 | 0 | 0 | 0
2/26/2025 | 14 | 67273 | 11823 | -11219 | 11550 | 5060 | -4802 | 0.174 | 0 | 0 | 0
2/26/2025 | 15 | 69488 | 12057 | -11677 | 11546 | 5160 | -4997 | 0.168 | 0 | 0 | 0
2/26/2025 | 16 | 72568 | 12582 | -12224 | 12146 | 5385 | -5232 | 0.169 | 0 | 0 | 0
2/26/2025 | 17 | 76807 | 12843 | -11952 | 15209 | 5497 | -5116 | 0.201 | 60 | 0 | 0
2/26/2025 | 18 | 81902 | 14295 | -13196 | 19231 | 6118 | -5648 | 0.237 | 948 | 34 | 0.036
2/26/2025 | 19 | 83782 | 15015 | -13807 | 20057 | 6426 | -5910 | 0.242 | 1290 | 34 | 0.026
2/26/2025 | 20 | 82103 | 15372 | -13565 | 19573 | 6579 | -5806 | 0.242 | 1479 | 46 | 0.031
2/26/2025 | 21 | 79839 | 15077 | -13291 | 19021 | 6453 | -5689 | 0.242 | 1516 | 123 | 0.081
2/26/2025 | 22 | 76805 | 14596 | -12611 | 18375 | 6247 | -5398 | 0.244 | 1736 | 202 | 0.116
2/26/2025 | 23 | 72514 | 13570 | -11458 | 18026 | 5808 | -4904 | 0.254 | 1421 | 180 | 0.127
2/26/2025 | 24 | 69194 | 12646 | -10897 | 17649 | 5412 | -4664 | 0.259 | 1815 | 351 | 0.193
2/27/2025 | 1 | 67273 | 12983 | -11138 | 17303 | 5557 | -4766 | 0.262 | 1780 | 288 | 0.162
2/27/2025 | 2 | 65279 | 13500 | -11522 | 16781 | 5778 | -4932 | 0.262 | 1409 | 162 | 0.115
2/27/2025 | 3 | 64427 | 13524 | -11422 | 16485 | 5788 | -4889 | 0.261 | 1206 | 59 | 0.049
2/27/2025 | 4 | 64719 | 13659 | -11248 | 16591 | 5846 | -4814 | 0.263 | 1045 | 1 | 0.001
2/27/2025 | 5 | 67856 | 13585 | -11394 | 17508 | 5814 | -4877 | 0.263 | 964 | 3 | 0.003
2/27/2025 | 6 | 73204 | 14187 | -11943 | 18950 | 6072 | -5111 | 0.264 | 851 | 0 | 0
2/27/2025 | 7 | 78829 | 13912 | -11831 | 19503 | 5954 | -5064 | 0.252 | 1226 | 2 | 0.002
2/27/2025 | 8 | 79458 | 12858 | -11014 | 15800 | 5503 | -4714 | 0.204 | 347 | 0 | 0
2/27/2025 | 9 | 77504 | 13092 | -12695 | 12993 | 5603 | -5434 | 0.169 | 194 | 0 | 0
2/27/2025 | 10 | 74425 | 12181 | -11851 | 11051 | 5214 | -5072 | 0.15 | 0 | 0 | 0
2/27/2025 | 11 | 71679 | 11503 | -11194 | 11161 | 4923 | -4791 | 0.157 | 0 | 0 | 0
2/27/2025 | 12 | 70232 | 11708 | -11472 | 11200 | 5011 | -4910 | 0.16 | 0 | 0 | 0
2/27/2025 | 13 | 69971 | 11673 | -11334 | 11417 | 4996 | -4851 | 0.164 | 0 | 0 | 0
2/27/2025 | 14 | 70702 | 11546 | -11068 | 11541 | 4942 | -4737 | 0.165 | 269 | 0 | 0
2/27/2025 | 15 | 71957 | 11829 | -11302 | 11633 | 5063 | -4837 | 0.164 | 959 | 91 | 0.095
2/27/2025 | 16 | 73448 | 11957 | -11164 | 12485 | 5118 | -4778 | 0.173 | 1543 | 260 | 0.169
2/27/2025 | 17 | 76338 | 12948 | -11402 | 16134 | 5542 | -4880 | 0.216 | 1056 | 36 | 0.034
2/27/2025 | 18 | 79731 | 14889 | -12656 | 19416 | 6372 | -5417 | 0.249 | 1526 | 97 | 0.064
2/27/2025 | 19 | 81292 | 15423 | -13098 | 20102 | 6601 | -5606 | 0.252 | 1402 | 130 | 0.093
2/27/2025 | 20 | 80096 | 15454 | -13266 | 20328 | 6614 | -5678 | 0.258 | 1425 | 82 | 0.058
2/27/2025 | 21 | 77970 | 15113 | -12598 | 20370 | 6468 | -5392 | 0.266 | 1439 | 141 | 0.098
2/27/2025 | 22 | 74885 | 14265 | -11803 | 20428 | 6106 | -5052 | 0.278 | 1500 | 109 | 0.073
2/27/2025 | 23 | 71053 | 14388 | -11922 | 19810 | 6158 | -5102 | 0.284 | 1110 | 27 | 0.024
2/27/2025 | 24 | 67612 | 13964 | -11614 | 19350 | 5977 | -4971 | 0.291 | 1191 | 60 | 0.05
2/28/2025 | 1 | 65454 | 13639 | -11340 | 18867 | 5838 | -4854 | 0.293 | 1137 | 35 | 0.031
2/28/2025 | 2 | 63984 | 13383 | -11101 | 18081 | 5728 | -4751 | 0.288 | 1050 | 15 | 0.014
2/28/2025 | 3 | 63013 | 13668 | -11441 | 17945 | 5850 | -4897 | 0.29 | 1027 | 4 | 0.004
2/28/2025 | 4 | 64027 | 13370 | -11468 | 18094 | 5722 | -4908 | 0.287 | 972 | 2 | 0.002
2/28/2025 | 5 | 67135 | 12879 | -11433 | 19012 | 5512 | -4894 | 0.286 | 983 | 2 | 0.002
2/28/2025 | 6 | 72431 | 13445 | -12213 | 19997 | 5754 | -5227 | 0.279 | 864 | 18 | 0.021
2/28/2025 | 7 | 78264 | 12981 | -12237 | 20649 | 5556 | -5237 | 0.265 | 863 | 61 | 0.071
2/28/2025 | 8 | 79914 | 11873 | -11394 | 18694 | 5082 | -4876 | 0.235 | 1431 | 164 | 0.115
2/28/2025 | 9 | 78053 | 10426 | -10690 | 16130 | 4463 | -4575 | 0.206 | 1545 | 160 | 0.104
2/28/2025 | 10 | 75014 | 10643 | -10845 | 14844 | 4555 | -4642 | 0.197 | 432 | 0 | 0
2/28/2025 | 11 | 71271 | 10312 | -10544 | 13413 | 4413 | -4513 | 0.187 | 0 | 0 | 0
2/28/2025 | 12 | 68909 | 10736 | -10924 | 12792 | 4595 | -4676 | 0.185 | 0 | 0 | 0
2/28/2025 | 13 | 67632 | 11362 | -11347 | 12688 | 4863 | -4856 | 0.188 | 0 | 0 | 0
2/28/2025 | 14 | 68003 | 11546 | -11429 | 12888 | 4942 | -4891 | 0.19 | 0 | 0 | 0
2/28/2025 | 15 | 69815 | 11680 | -11533 | 13541 | 4999 | -4936 | 0.194 | 0 | 0 | 0
2/28/2025 | 16 | 71792 | 10575 | -10609 | 15115 | 4526 | -4541 | 0.21 | 965 | 47 | 0.049
2/28/2025 | 17 | 74091 | 11296 | -10493 | 18903 | 4835 | -4491 | 0.257 | 1457 | 305 | 0.209
2/28/2025 | 18 | 77421 | 12870 | -11609 | 21627 | 5508 | -4969 | 0.282 | 1584 | 388 | 0.245
2/28/2025 | 19 | 78639 | 13755 | -12583 | 22034 | 5887 | -5386 | 0.282 | 1276 | 247 | 0.194
2/28/2025 | 20 | 77485 | 13488 | -12415 | 22274 | 5773 | -5314 | 0.289 | 1940 | 299 | 0.154
2/28/2025 | 21 | 75554 | 12668 | -11408 | 21926 | 5422 | -4883 | 0.292 | 2062 | 332 | 0.161
2/28/2025 | 22 | 73468 | 12384 | -10953 | 21960 | 5300 | -4688 | 0.301 | 1692 | 230 | 0.136
2/28/2025 | 23 | 70919 | 12324 | -11050 | 21584 | 5275 | -4729 | 0.307 | 1154 | 73 | 0.063
2/28/2025 | 24 | 68188 | 12458 | -11342 | 21045 | 5332 | -4854 | 0.311 | 1212 | 83 | 0.068