## KEY
Average Emissions Rate Calculation
Background:
The CAISO is publishing this metric of an average emissions rate (AER) based on the discussion in the GHG working groups. CAISO discussed the metric at the November 27, 2023 GHG Coordination Working Group. A brief explanation of the methodology is included below:
Methodology:
1) Which resources are reflected in this example AER metric (all schedules are from the 5-minute market)
- All supply resources are included
- All demand response resources are excluded
- All energy storage resources are included (emissions rate used is 0 MTCO2e/MWh)
- Resources that were attributed to serve California are included
2) The AER measures all schedules ie. The total dispatach of the resources and not relative to WEIM base schedule
3) Bilateral transactions are included (emissions rate used is 0.428 MTCO2e/MWh) unless they are resource specific.
4) CAISO filled in missing heat rate and emissions rate data by using wtd averages from existing data
Key
TRADE_DT | Trade date of the reported data in MM/DD/YYYY format
TRADE_HR | Trade hour of the reported data. Data is reported as the "hour-ending", e.g. TRADE_HR = 2 is for the hour-ending 1:59:59AM Pacific time
GEN_MWH | MWh of electricity generation in the WEIM area* (including CAISO)
IMP_MWH | MWh of electricity imports into the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
EXP_MWH | MWh of electricity exports from the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
GEN_GHG | Greenhouse gas emissions in MTCO2e of electricity generation in the WEIM area
IMP_GHG | Greenhouse gas emissions in MTCO2e of electricity imports into the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
EXP_GHG | Greenhouse gas emissions in MTCO2e of electricity exports from the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
AVG_EM_RATE | Average emissions rate calculated as columns G through I divided by columns C through E
ATTR_MWH | MWh of WEIM transfers into California which, by definition, is equal to the sum of the GHG attributions
ATTR_GHG | Greenhouse gas emissions in MTCO2e of WEIM transfers into California (resource-specific)
ATTR_AVG_EM_RATE | Average emissions rate of WEIM transfers into California
CAISO PUBLIC

## AER_SUMMARY
TRADE_DT | TRADE_HR | GEN_MWH | IMP_MWH | EXP_MWH | GEN_GHG | IMP_GHG | EXP_GHG | AVG_EM_RATE | ATTR_MWH | ATTR_GHG | ATTR_AVG_EM_RATE
2/1/2026 | 1 | 68679 | 14269 | -13075 | 15704 | 6107 | -5596 | 0.232 | 1477 | 240 | 0.162
2/1/2026 | 2 | 66864 | 14239 | -12949 | 15691 | 6094 | -5542 | 0.238 | 948 | 20 | 0.021
2/1/2026 | 3 | 65512 | 14362 | -12807 | 15351 | 6147 | -5481 | 0.239 | 907 | 6 | 0.007
2/1/2026 | 4 | 64929 | 14772 | -12900 | 15207 | 6323 | -5521 | 0.24 | 974 | 52 | 0.053
2/1/2026 | 5 | 65645 | 15024 | -13146 | 14941 | 6430 | -5627 | 0.233 | 870 | 64 | 0.074
2/1/2026 | 6 | 67608 | 14851 | -12857 | 14916 | 6356 | -5503 | 0.227 | 906 | 50 | 0.055
2/1/2026 | 7 | 70862 | 14295 | -12779 | 15051 | 6118 | -5469 | 0.217 | 734 | 0 | 0
2/1/2026 | 8 | 72293 | 14096 | -13089 | 13619 | 6033 | -5602 | 0.192 | 694 | 18 | 0.026
2/1/2026 | 9 | 72089 | 10916 | -10369 | 10649 | 4672 | -4438 | 0.15 | 346 | 8 | 0.023
2/1/2026 | 10 | 70874 | 10090 | -9797 | 10013 | 4318 | -4193 | 0.142 | 0 | 0 | 0
2/1/2026 | 11 | 69474 | 9904 | -9715 | 9835 | 4239 | -4158 | 0.142 | 0 | 0 | 0
2/1/2026 | 12 | 68167 | 10051 | -9773 | 9548 | 4302 | -4183 | 0.141 | 0 | 0 | 0
2/1/2026 | 13 | 67845 | 9979 | -9829 | 9267 | 4271 | -4207 | 0.137 | 0 | 0 | 0
2/1/2026 | 14 | 68819 | 9876 | -10098 | 9202 | 4227 | -4322 | 0.133 | 0 | 0 | 0
2/1/2026 | 15 | 70661 | 9985 | -10310 | 9388 | 4273 | -4413 | 0.131 | 0 | 0 | 0
2/1/2026 | 16 | 74735 | 9855 | -10698 | 10523 | 4218 | -4579 | 0.138 | 0 | 0 | 0
2/1/2026 | 17 | 78247 | 14011 | -14067 | 13202 | 5997 | -6021 | 0.169 | 920 | 31 | 0.034
2/1/2026 | 18 | 82825 | 15314 | -15289 | 14257 | 6554 | -6544 | 0.172 | 825 | 21 | 0.025
2/1/2026 | 19 | 83584 | 16067 | -15680 | 14831 | 6877 | -6711 | 0.179 | 931 | 95 | 0.102
2/1/2026 | 20 | 81611 | 16254 | -15168 | 14995 | 6956 | -6492 | 0.187 | 852 | 0 | 0
2/1/2026 | 21 | 79135 | 16525 | -14993 | 14604 | 7073 | -6417 | 0.189 | 759 | 0 | 0
2/1/2026 | 22 | 75885 | 16570 | -14610 | 14245 | 7092 | -6253 | 0.194 | 657 | 4 | 0.006
2/1/2026 | 23 | 71864 | 16334 | -14186 | 14176 | 6991 | -6072 | 0.204 | 674 | 32 | 0.047
2/1/2026 | 24 | 68482 | 16431 | -14276 | 13642 | 7033 | -6110 | 0.206 | 764 | 0 | 0
2/2/2026 | 1 | 66726 | 15417 | -13465 | 13785 | 6598 | -5763 | 0.213 | 943 | 72 | 0.076
2/2/2026 | 2 | 65566 | 15370 | -13653 | 13767 | 6578 | -5844 | 0.216 | 910 | 50 | 0.055
2/2/2026 | 3 | 64940 | 15706 | -13939 | 13957 | 6722 | -5966 | 0.221 | 788 | 59 | 0.075
2/2/2026 | 4 | 65821 | 15577 | -13978 | 14152 | 6667 | -5982 | 0.22 | 595 | 0 | 0
2/2/2026 | 5 | 68610 | 15244 | -13636 | 14932 | 6525 | -5836 | 0.222 | 549 | 0 | 0
2/2/2026 | 6 | 74628 | 15377 | -14139 | 15360 | 6581 | -6052 | 0.209 | 37 | 0 | 0
2/2/2026 | 7 | 81409 | 13931 | -13227 | 16026 | 5963 | -5661 | 0.199 | 0 | 0 | 0
2/2/2026 | 8 | 84416 | 13982 | -13601 | 15588 | 5984 | -5821 | 0.186 | 0 | 0 | 0
2/2/2026 | 9 | 82605 | 10925 | -10691 | 13280 | 4676 | -4576 | 0.162 | 0 | 0 | 0
2/2/2026 | 10 | 79593 | 9600 | -9636 | 11634 | 4109 | -4124 | 0.146 | 0 | 0 | 0
2/2/2026 | 11 | 76382 | 9671 | -9702 | 11444 | 4139 | -4152 | 0.15 | 0 | 0 | 0
2/2/2026 | 12 | 74515 | 9686 | -9759 | 11665 | 4146 | -4177 | 0.156 | 0 | 0 | 0
2/2/2026 | 13 | 73880 | 9736 | -10000 | 11790 | 4167 | -4280 | 0.159 | 0 | 0 | 0
2/2/2026 | 14 | 73912 | 9754 | -9961 | 11889 | 4175 | -4263 | 0.16 | 0 | 0 | 0
2/2/2026 | 15 | 75200 | 9475 | -9838 | 11712 | 4056 | -4210 | 0.154 | 0 | 0 | 0
2/2/2026 | 16 | 77971 | 9344 | -9610 | 12344 | 3999 | -4113 | 0.157 | 0 | 0 | 0
2/2/2026 | 17 | 81268 | 13370 | -13032 | 15424 | 5723 | -5578 | 0.191 | 349 | 0 | 0
2/2/2026 | 18 | 86118 | 14744 | -14452 | 16864 | 6310 | -6185 | 0.197 | 739 | 0 | 0
2/2/2026 | 19 | 87330 | 14820 | -14478 | 17138 | 6343 | -6196 | 0.197 | 771 | 0 | 0
2/2/2026 | 20 | 85027 | 14842 | -14152 | 17021 | 6353 | -6057 | 0.202 | 927 | 0 | 0
2/2/2026 | 21 | 82215 | 15047 | -13797 | 16840 | 6440 | -5905 | 0.208 | 875 | 0 | 0
2/2/2026 | 22 | 78448 | 15263 | -13496 | 17026 | 6532 | -5776 | 0.222 | 1094 | 0 | 0
2/2/2026 | 23 | 74325 | 16088 | -14106 | 16831 | 6886 | -6037 | 0.232 | 1037 | 14 | 0.014
2/2/2026 | 24 | 70422 | 16155 | -14097 | 16763 | 6914 | -6034 | 0.243 | 997 | 0 | 0
2/3/2026 | 1 | 68253 | 16081 | -14025 | 16385 | 6883 | -6003 | 0.246 | 946 | 4 | 0.004
2/3/2026 | 2 | 66652 | 15361 | -13324 | 15870 | 6574 | -5703 | 0.244 | 928 | 17 | 0.018
2/3/2026 | 3 | 65658 | 15415 | -13176 | 15618 | 6598 | -5639 | 0.244 | 1224 | 133 | 0.109
2/3/2026 | 4 | 66266 | 15099 | -12980 | 15913 | 6462 | -5555 | 0.246 | 1116 | 30 | 0.027
2/3/2026 | 5 | 69501 | 14901 | -13179 | 16212 | 6377 | -5640 | 0.238 | 1048 | 8 | 0.008
2/3/2026 | 6 | 75057 | 12752 | -11410 | 16636 | 5458 | -4884 | 0.225 | 841 | 0 | 0
2/3/2026 | 7 | 81025 | 12212 | -11010 | 17148 | 5227 | -4712 | 0.215 | 757 | 39 | 0.052
2/3/2026 | 8 | 83081 | 12831 | -11485 | 16130 | 5492 | -4916 | 0.198 | 830 | 141 | 0.17
2/3/2026 | 9 | 81090 | 10563 | -9714 | 12114 | 4521 | -4158 | 0.152 | 103 | 0 | 0
2/3/2026 | 10 | 78936 | 10219 | -9785 | 11020 | 4374 | -4188 | 0.141 | 0 | 0 | 0
2/3/2026 | 11 | 75368 | 9943 | -9747 | 10990 | 4256 | -4172 | 0.147 | 0 | 0 | 0
2/3/2026 | 12 | 72714 | 9985 | -9761 | 10788 | 4274 | -4177 | 0.149 | 0 | 0 | 0
2/3/2026 | 13 | 71210 | 10178 | -9936 | 10463 | 4356 | -4253 | 0.148 | 0 | 0 | 0
2/3/2026 | 14 | 71613 | 10178 | -10132 | 10326 | 4356 | -4336 | 0.144 | 0 | 0 | 0
2/3/2026 | 15 | 72806 | 10157 | -10256 | 10366 | 4347 | -4389 | 0.142 | 0 | 0 | 0
2/3/2026 | 16 | 76457 | 9618 | -9828 | 11350 | 4116 | -4206 | 0.148 | 0 | 0 | 0
2/3/2026 | 17 | 80907 | 11631 | -11358 | 14994 | 4978 | -4861 | 0.186 | 61 | 0 | 0
2/3/2026 | 18 | 85881 | 12550 | -12121 | 16752 | 5371 | -5188 | 0.196 | 752 | 3 | 0.004
2/3/2026 | 19 | 86351 | 12423 | -11877 | 17260 | 5317 | -5083 | 0.201 | 727 | 0 | 0
2/3/2026 | 20 | 84766 | 12562 | -11722 | 17102 | 5376 | -5017 | 0.204 | 792 | 0 | 0
2/3/2026 | 21 | 82102 | 13132 | -11947 | 17076 | 5620 | -5113 | 0.211 | 887 | 0 | 0
2/3/2026 | 22 | 79078 | 14140 | -12542 | 17248 | 6052 | -5368 | 0.222 | 1138 | 0 | 0
2/3/2026 | 23 | 74545 | 15300 | -13688 | 16972 | 6548 | -5859 | 0.232 | 887 | 0 | 0
2/3/2026 | 24 | 70366 | 15428 | -13616 | 16724 | 6603 | -5828 | 0.242 | 442 | 0 | 0
2/4/2026 | 1 | 68167 | 15772 | -14067 | 16778 | 6750 | -6021 | 0.251 | 767 | 3 | 0.004
2/4/2026 | 2 | 66504 | 15776 | -13922 | 16606 | 6753 | -5958 | 0.255 | 770 | 0 | 0
2/4/2026 | 3 | 65272 | 16046 | -13806 | 16290 | 6867 | -5909 | 0.255 | 726 | 1 | 0.001
2/4/2026 | 4 | 65657 | 16000 | -13727 | 16092 | 6848 | -5875 | 0.251 | 688 | 13 | 0.019
2/4/2026 | 5 | 68068 | 15842 | -13553 | 16177 | 6780 | -5801 | 0.244 | 812 | 0 | 0
2/4/2026 | 6 | 73441 | 14915 | -12739 | 16530 | 6384 | -5452 | 0.231 | 1084 | 7 | 0.006
2/4/2026 | 7 | 80204 | 15102 | -13158 | 17324 | 6464 | -5632 | 0.221 | 991 | 0 | 0
2/4/2026 | 8 | 82650 | 15091 | -13511 | 16138 | 6459 | -5783 | 0.2 | 812 | 43 | 0.053
2/4/2026 | 9 | 81003 | 11323 | -10386 | 12699 | 4846 | -4445 | 0.16 | 649 | 2 | 0.003
2/4/2026 | 10 | 78090 | 10920 | -10039 | 11760 | 4674 | -4297 | 0.154 | 424 | 0 | 0
2/4/2026 | 11 | 74571 | 11001 | -10253 | 11668 | 4708 | -4388 | 0.159 | 205 | 0 | 0
2/4/2026 | 12 | 71918 | 11302 | -10445 | 11606 | 4837 | -4471 | 0.165 | 73 | 0 | 0
2/4/2026 | 13 | 71266 | 11040 | -10374 | 11176 | 4725 | -4440 | 0.159 | 0 | 0 | 0
2/4/2026 | 14 | 71380 | 10732 | -10441 | 10936 | 4593 | -4469 | 0.154 | 0 | 0 | 0
2/4/2026 | 15 | 72468 | 10365 | -10453 | 10965 | 4437 | -4474 | 0.151 | 0 | 0 | 0
2/4/2026 | 16 | 76983 | 9629 | -10386 | 12411 | 4121 | -4445 | 0.159 | 0 | 0 | 0
2/4/2026 | 17 | 80063 | 12604 | -12246 | 15096 | 5394 | -5241 | 0.19 | 491 | 0 | 0
2/4/2026 | 18 | 84938 | 13856 | -13127 | 16881 | 5930 | -5618 | 0.201 | 908 | 0 | 0
2/4/2026 | 19 | 85685 | 14320 | -13216 | 17204 | 6129 | -5656 | 0.204 | 1021 | 0 | 0
2/4/2026 | 20 | 83122 | 14872 | -12952 | 17192 | 6365 | -5544 | 0.212 | 973 | 0 | 0
2/4/2026 | 21 | 80835 | 15031 | -12927 | 17416 | 6433 | -5532 | 0.221 | 972 | 0 | 0
2/4/2026 | 22 | 77694 | 15067 | -12878 | 17251 | 6449 | -5512 | 0.228 | 803 | 0 | 0
2/4/2026 | 23 | 73653 | 16097 | -13617 | 16280 | 6889 | -5828 | 0.228 | 945 | 0 | 0
2/4/2026 | 24 | 70074 | 16196 | -13695 | 15892 | 6932 | -5861 | 0.234 | 615 | 0 | 0
2/5/2026 | 1 | 68499 | 15825 | -13607 | 15761 | 6773 | -5824 | 0.236 | 642 | 19 | 0.03
2/5/2026 | 2 | 67029 | 15613 | -13494 | 15508 | 6682 | -5775 | 0.237 | 703 | 38 | 0.054
2/5/2026 | 3 | 66496 | 14888 | -12997 | 15513 | 6372 | -5563 | 0.239 | 729 | 44 | 0.06
2/5/2026 | 4 | 67012 | 14809 | -12996 | 15676 | 6338 | -5562 | 0.239 | 588 | 0 | 0
2/5/2026 | 5 | 69516 | 14888 | -12968 | 16091 | 6372 | -5550 | 0.237 | 620 | 2 | 0.003
2/5/2026 | 6 | 74724 | 15318 | -13374 | 16619 | 6556 | -5724 | 0.228 | 810 | 0 | 0
2/5/2026 | 7 | 81110 | 15084 | -13087 | 16995 | 6456 | -5601 | 0.215 | 1025 | 0 | 0
2/5/2026 | 8 | 83720 | 15184 | -13590 | 15529 | 6499 | -5816 | 0.19 | 1079 | 158 | 0.146
2/5/2026 | 9 | 82180 | 12125 | -11152 | 13919 | 5190 | -4773 | 0.172 | 1293 | 229 | 0.177
2/5/2026 | 10 | 78137 | 11569 | -10436 | 13466 | 4952 | -4466 | 0.176 | 545 | 3 | 0.006
2/5/2026 | 11 | 74360 | 11763 | -10640 | 12981 | 5035 | -4554 | 0.178 | 156 | 0 | 0
2/5/2026 | 12 | 72471 | 11467 | -10473 | 12850 | 4908 | -4483 | 0.181 | 48 | 0 | 0
2/5/2026 | 13 | 71556 | 11349 | -10768 | 12608 | 4858 | -4609 | 0.178 | 153 | 0 | 0
2/5/2026 | 14 | 72774 | 10953 | -10545 | 13293 | 4688 | -4513 | 0.184 | 465 | 37 | 0.08
2/5/2026 | 15 | 75000 | 10367 | -10289 | 14078 | 4437 | -4404 | 0.188 | 1034 | 220 | 0.213
2/5/2026 | 16 | 77938 | 11065 | -10754 | 14983 | 4736 | -4603 | 0.193 | 1461 | 201 | 0.138
2/5/2026 | 17 | 80129 | 12874 | -12094 | 17227 | 5510 | -5176 | 0.217 | 1312 | 70 | 0.053
2/5/2026 | 18 | 83908 | 13459 | -12324 | 18125 | 5760 | -5275 | 0.219 | 1152 | 0 | 0
2/5/2026 | 19 | 85371 | 13961 | -12902 | 18349 | 5976 | -5522 | 0.218 | 1348 | 74 | 0.055
2/5/2026 | 20 | 83371 | 13566 | -12456 | 18471 | 5806 | -5332 | 0.224 | 1132 | 10 | 0.009
2/5/2026 | 21 | 81038 | 13305 | -12096 | 18754 | 5695 | -5177 | 0.234 | 1071 | 40 | 0.037
2/5/2026 | 22 | 78425 | 12440 | -11430 | 18893 | 5324 | -4892 | 0.243 | 1239 | 10 | 0.008
2/5/2026 | 23 | 74536 | 13845 | -12624 | 18940 | 5926 | -5403 | 0.257 | 746 | 8 | 0.011
2/5/2026 | 24 | 71262 | 13665 | -12558 | 18717 | 5849 | -5375 | 0.265 | 592 | 0 | 0
2/6/2026 | 1 | 68842 | 13658 | -12436 | 18274 | 5846 | -5322 | 0.268 | 706 | 0 | 0
2/6/2026 | 2 | 67352 | 13770 | -12370 | 18372 | 5894 | -5295 | 0.276 | 615 | 0 | 0
2/6/2026 | 3 | 66522 | 13889 | -12385 | 18466 | 5944 | -5300 | 0.281 | 487 | 0 | 0
2/6/2026 | 4 | 66906 | 13855 | -12323 | 18795 | 5930 | -5275 | 0.284 | 227 | 0 | 0
2/6/2026 | 5 | 68920 | 14281 | -12450 | 19227 | 6112 | -5328 | 0.283 | 246 | 0 | 0
2/6/2026 | 6 | 74092 | 14549 | -12897 | 19373 | 6227 | -5520 | 0.265 | 877 | 0 | 0
2/6/2026 | 7 | 80860 | 13696 | -12352 | 20094 | 5862 | -5287 | 0.251 | 1111 | 40 | 0.036
2/6/2026 | 8 | 83379 | 13150 | -11920 | 19035 | 5628 | -5102 | 0.231 | 1848 | 373 | 0.202
2/6/2026 | 9 | 81902 | 11097 | -10430 | 16418 | 4750 | -4464 | 0.202 | 641 | 4 | 0.006
2/6/2026 | 10 | 78681 | 10950 | -10295 | 15218 | 4686 | -4406 | 0.195 | 393 | 0 | 0
2/6/2026 | 11 | 74892 | 10582 | -9976 | 14018 | 4529 | -4270 | 0.189 | 30 | 0 | 0
2/6/2026 | 12 | 72463 | 10736 | -10094 | 13676 | 4595 | -4321 | 0.191 | 0 | 0 | 0
2/6/2026 | 13 | 71300 | 10815 | -10054 | 13203 | 4629 | -4303 | 0.188 | 0 | 0 | 0
2/6/2026 | 14 | 71180 | 10742 | -10090 | 12643 | 4597 | -4319 | 0.18 | 0 | 0 | 0
2/6/2026 | 15 | 72817 | 10196 | -9608 | 12479 | 4364 | -4112 | 0.173 | 0 | 0 | 0
2/6/2026 | 16 | 75401 | 10253 | -9642 | 13213 | 4388 | -4127 | 0.177 | 0 | 0 | 0
2/6/2026 | 17 | 78315 | 12785 | -11765 | 15656 | 5472 | -5035 | 0.203 | 410 | 0 | 0
2/6/2026 | 18 | 81734 | 14153 | -12856 | 16412 | 6057 | -5502 | 0.204 | 949 | 0 | 0
2/6/2026 | 19 | 82495 | 14596 | -13255 | 16281 | 6247 | -5673 | 0.201 | 1024 | 0 | 0
2/6/2026 | 20 | 80391 | 15086 | -13455 | 16405 | 6457 | -5758 | 0.209 | 1021 | 0 | 0
2/6/2026 | 21 | 78196 | 14545 | -12681 | 15810 | 6225 | -5427 | 0.207 | 1028 | 0 | 0
2/6/2026 | 22 | 76053 | 14261 | -12440 | 15513 | 6104 | -5324 | 0.209 | 1070 | 0 | 0
2/6/2026 | 23 | 72381 | 15179 | -12855 | 15357 | 6496 | -5502 | 0.219 | 948 | 0 | 0
2/6/2026 | 24 | 69023 | 15498 | -12871 | 14847 | 6633 | -5509 | 0.223 | 857 | 1 | 0.001
2/7/2026 | 1 | 66749 | 15768 | -13255 | 14174 | 6749 | -5673 | 0.22 | 908 | 70 | 0.077
2/7/2026 | 2 | 64834 | 15859 | -13341 | 13629 | 6787 | -5710 | 0.218 | 729 | 9 | 0.012
2/7/2026 | 3 | 63613 | 15987 | -13397 | 13626 | 6842 | -5734 | 0.223 | 742 | 0 | 0
2/7/2026 | 4 | 63751 | 15862 | -13498 | 13469 | 6789 | -5777 | 0.219 | 732 | 0 | 0
2/7/2026 | 5 | 64980 | 15674 | -13602 | 13284 | 6708 | -5822 | 0.211 | 704 | 0 | 0
2/7/2026 | 6 | 67407 | 15625 | -13841 | 13079 | 6687 | -5924 | 0.2 | 139 | 0 | 0
2/7/2026 | 7 | 70808 | 14178 | -12709 | 13246 | 6068 | -5439 | 0.192 | 690 | 0 | 0
2/7/2026 | 8 | 72946 | 13482 | -12294 | 12121 | 5770 | -5262 | 0.17 | 73 | 0 | 0
2/7/2026 | 9 | 72803 | 10529 | -9512 | 9646 | 4507 | -4071 | 0.137 | 0 | 0 | 0
2/7/2026 | 10 | 72135 | 10337 | -9440 | 9358 | 4424 | -4040 | 0.133 | 0 | 0 | 0
2/7/2026 | 11 | 70014 | 9949 | -9171 | 9245 | 4258 | -3925 | 0.135 | 0 | 0 | 0
2/7/2026 | 12 | 68559 | 9733 | -8999 | 9206 | 4166 | -3852 | 0.137 | 0 | 0 | 0
2/7/2026 | 13 | 68526 | 9748 | -9146 | 9198 | 4172 | -3914 | 0.137 | 0 | 0 | 0
2/7/2026 | 14 | 69490 | 9718 | -9236 | 9221 | 4160 | -3953 | 0.135 | 0 | 0 | 0
2/7/2026 | 15 | 71348 | 9840 | -9392 | 9925 | 4212 | -4020 | 0.141 | 0 | 0 | 0
2/7/2026 | 16 | 74478 | 9812 | -9424 | 10813 | 4199 | -4034 | 0.147 | 0 | 0 | 0
2/7/2026 | 17 | 77389 | 12203 | -11203 | 13082 | 5223 | -4795 | 0.172 | 0 | 0 | 0
2/7/2026 | 18 | 80826 | 14456 | -13260 | 14494 | 6187 | -5675 | 0.183 | 73 | 0 | 0
2/7/2026 | 19 | 80663 | 14821 | -13362 | 14538 | 6343 | -5719 | 0.185 | 420 | 0 | 0
2/7/2026 | 20 | 78853 | 14793 | -13204 | 14707 | 6332 | -5651 | 0.191 | 892 | 0 | 0
2/7/2026 | 21 | 76657 | 15228 | -13478 | 14458 | 6517 | -5768 | 0.194 | 973 | 0 | 0
2/7/2026 | 22 | 74151 | 15647 | -13798 | 14304 | 6697 | -5905 | 0.199 | 729 | 0 | 0
2/7/2026 | 23 | 71675 | 16433 | -14610 | 13912 | 7033 | -6253 | 0.2 | 652 | 0 | 0
2/7/2026 | 24 | 68789 | 16207 | -14598 | 13700 | 6936 | -6248 | 0.204 | 690 | 0 | 0
2/8/2026 | 1 | 66920 | 15546 | -14238 | 13090 | 6654 | -6094 | 0.2 | 894 | 84 | 0.094
2/8/2026 | 2 | 65098 | 15775 | -14388 | 12842 | 6752 | -6158 | 0.202 | 814 | 68 | 0.084
2/8/2026 | 3 | 64069 | 15823 | -14499 | 12842 | 6772 | -6206 | 0.205 | 1026 | 123 | 0.12
2/8/2026 | 4 | 63698 | 15772 | -14522 | 12824 | 6750 | -6215 | 0.206 | 1037 | 120 | 0.116
2/8/2026 | 5 | 64334 | 15590 | -14255 | 12767 | 6673 | -6101 | 0.203 | 1085 | 109 | 0.1
2/8/2026 | 6 | 66152 | 15863 | -14398 | 12423 | 6789 | -6163 | 0.193 | 950 | 3 | 0.003
2/8/2026 | 7 | 69052 | 15467 | -14202 | 12487 | 6620 | -6078 | 0.185 | 850 | 0 | 0
2/8/2026 | 8 | 69950 | 14625 | -13341 | 11424 | 6260 | -5710 | 0.168 | 379 | 0 | 0
2/8/2026 | 9 | 70598 | 10600 | -10104 | 9605 | 4536 | -4324 | 0.138 | 0 | 0 | 0
2/8/2026 | 10 | 68967 | 10558 | -10268 | 9410 | 4518 | -4395 | 0.138 | 0 | 0 | 0
2/8/2026 | 11 | 67408 | 9963 | -9568 | 9413 | 4264 | -4095 | 0.141 | 0 | 0 | 0
2/8/2026 | 12 | 66480 | 9974 | -9664 | 9434 | 4268 | -4136 | 0.143 | 0 | 0 | 0
2/8/2026 | 13 | 67057 | 9993 | -9878 | 9520 | 4277 | -4228 | 0.142 | 0 | 0 | 0
2/8/2026 | 14 | 69438 | 9206 | -9771 | 9588 | 3940 | -4182 | 0.136 | 0 | 0 | 0
2/8/2026 | 15 | 72810 | 8859 | -9936 | 9939 | 3792 | -4253 | 0.132 | 0 | 0 | 0
2/8/2026 | 16 | 76524 | 9163 | -10488 | 10654 | 3922 | -4489 | 0.134 | 0 | 0 | 0
2/8/2026 | 17 | 77922 | 12253 | -13012 | 13340 | 5244 | -5569 | 0.169 | 466 | 0 | 0
2/8/2026 | 18 | 80846 | 13769 | -14228 | 14639 | 5893 | -6090 | 0.18 | 870 | 0 | 0
2/8/2026 | 19 | 81026 | 13898 | -14539 | 14734 | 5949 | -6223 | 0.18 | 1050 | 0 | 0
2/8/2026 | 20 | 79688 | 14067 | -14561 | 14317 | 6021 | -6232 | 0.178 | 1049 | 0 | 0
2/8/2026 | 21 | 79602 | 14189 | -14476 | 14790 | 6073 | -6196 | 0.185 | 426 | 0 | 0
2/8/2026 | 22 | 76964 | 14557 | -14557 | 14415 | 6230 | -6231 | 0.187 | 624 | 0 | 0
2/8/2026 | 23 | 72935 | 14582 | -14538 | 14390 | 6241 | -6222 | 0.197 | 474 | 0 | 0
2/8/2026 | 24 | 69570 | 14388 | -14226 | 14141 | 6158 | -6089 | 0.204 | 567 | 0 | 0
2/9/2026 | 1 | 67812 | 14397 | -14187 | 13950 | 6162 | -6072 | 0.206 | 672 | 23 | 0.034
2/9/2026 | 2 | 66673 | 14707 | -14623 | 13840 | 6294 | -6259 | 0.208 | 599 | 17 | 0.028
2/9/2026 | 3 | 66034 | 14747 | -14689 | 13774 | 6312 | -6287 | 0.209 | 853 | 122 | 0.143
2/9/2026 | 4 | 66517 | 15029 | -14819 | 13762 | 6433 | -6343 | 0.208 | 600 | 21 | 0.035
2/9/2026 | 5 | 69321 | 14888 | -14829 | 14194 | 6372 | -6347 | 0.205 | 892 | 61 | 0.068
2/9/2026 | 6 | 74695 | 14931 | -14863 | 14247 | 6390 | -6361 | 0.191 | 814 | 0 | 0
2/9/2026 | 7 | 80826 | 14736 | -14931 | 14841 | 6307 | -6390 | 0.183 | 891 | 0 | 0
2/9/2026 | 8 | 82795 | 14785 | -14969 | 13897 | 6328 | -6407 | 0.167 | 636 | 0 | 0
2/9/2026 | 9 | 81880 | 11737 | -12095 | 12856 | 5024 | -5176 | 0.156 | 501 | 0 | 0
2/9/2026 | 10 | 79958 | 11195 | -11738 | 12781 | 4791 | -5024 | 0.158 | 480 | 0 | 0
2/9/2026 | 11 | 77666 | 11297 | -11797 | 12317 | 4835 | -5049 | 0.157 | 95 | 0 | 0
2/9/2026 | 12 | 76417 | 11074 | -11830 | 12206 | 4739 | -5063 | 0.157 | 20 | 0 | 0
2/9/2026 | 13 | 76918 | 11233 | -12176 | 12504 | 4808 | -5211 | 0.159 | 87 | 0 | 0
2/9/2026 | 14 | 77699 | 11575 | -12424 | 12555 | 4954 | -5317 | 0.159 | 476 | 0 | 0
2/9/2026 | 15 | 78603 | 11314 | -12191 | 12708 | 4842 | -5218 | 0.159 | 494 | 2 | 0.004
2/9/2026 | 16 | 81539 | 10875 | -11780 | 13608 | 4654 | -5042 | 0.164 | 709 | 0 | 0
2/9/2026 | 17 | 84850 | 13358 | -13893 | 15534 | 5717 | -5946 | 0.182 | 1107 | 23 | 0.021
2/9/2026 | 18 | 88220 | 14142 | -14489 | 16282 | 6053 | -6201 | 0.184 | 964 | 13 | 0.013
2/9/2026 | 19 | 88521 | 14296 | -14285 | 16396 | 6119 | -6114 | 0.185 | 1062 | 18 | 0.017
2/9/2026 | 20 | 86636 | 14511 | -14255 | 16601 | 6211 | -6101 | 0.192 | 824 | 0 | 0
2/9/2026 | 21 | 83700 | 14446 | -13747 | 16648 | 6183 | -5883 | 0.201 | 749 | 6 | 0.008
2/9/2026 | 22 | 79835 | 15040 | -13925 | 16868 | 6437 | -5960 | 0.214 | 912 | 6 | 0.007
2/9/2026 | 23 | 75232 | 15932 | -14478 | 17012 | 6819 | -6197 | 0.23 | 767 | 1 | 0.001
2/9/2026 | 24 | 71731 | 15725 | -14267 | 16870 | 6730 | -6106 | 0.239 | 707 | 0 | 0
2/10/2026 | 1 | 69621 | 15048 | -13420 | 17294 | 6441 | -5744 | 0.253 | 563 | 0 | 0
2/10/2026 | 2 | 67766 | 14888 | -12880 | 17212 | 6372 | -5512 | 0.259 | 734 | 0 | 0
2/10/2026 | 3 | 66823 | 14901 | -12878 | 17405 | 6378 | -5512 | 0.265 | 849 | 0 | 0
2/10/2026 | 4 | 67310 | 14456 | -12538 | 17516 | 6187 | -5366 | 0.265 | 643 | 0 | 0
2/10/2026 | 5 | 70014 | 14237 | -12458 | 18162 | 6094 | -5332 | 0.264 | 614 | 0 | 0
2/10/2026 | 6 | 75935 | 14061 | -12917 | 18385 | 6018 | -5529 | 0.245 | 336 | 0 | 0
2/10/2026 | 7 | 82779 | 12903 | -12457 | 18685 | 5522 | -5331 | 0.227 | 70 | 0 | 0
2/10/2026 | 8 | 85507 | 13053 | -12549 | 18702 | 5586 | -5371 | 0.22 | 449 | 26 | 0.058
2/10/2026 | 9 | 84822 | 12077 | -11374 | 17642 | 5169 | -4868 | 0.21 | 668 | 0 | 0
2/10/2026 | 10 | 82426 | 11774 | -10845 | 17337 | 5039 | -4642 | 0.213 | 853 | 0 | 0
2/10/2026 | 11 | 79444 | 12110 | -11162 | 17333 | 5183 | -4777 | 0.221 | 693 | 0 | 0
2/10/2026 | 12 | 77232 | 11812 | -10815 | 16725 | 5056 | -4629 | 0.219 | 502 | 0 | 0
2/10/2026 | 13 | 77291 | 11848 | -10856 | 16692 | 5071 | -4646 | 0.219 | 520 | 34 | 0.065
2/10/2026 | 14 | 76827 | 12034 | -11040 | 16248 | 5151 | -4725 | 0.214 | 622 | 75 | 0.121
2/10/2026 | 15 | 78393 | 11650 | -10983 | 16393 | 4986 | -4701 | 0.211 | 483 | 0 | 0
2/10/2026 | 16 | 80712 | 11730 | -11487 | 17481 | 5021 | -4916 | 0.217 | 508 | 2 | 0.004
2/10/2026 | 17 | 82648 | 12976 | -12713 | 18598 | 5554 | -5441 | 0.226 | 854 | 0 | 0
2/10/2026 | 18 | 86442 | 13651 | -13499 | 19173 | 5843 | -5778 | 0.222 | 888 | 0 | 0
2/10/2026 | 19 | 87711 | 13612 | -13545 | 19522 | 5826 | -5798 | 0.223 | 922 | 0 | 0
2/10/2026 | 20 | 85987 | 13363 | -12973 | 19467 | 5719 | -5552 | 0.227 | 931 | 0 | 0
2/10/2026 | 21 | 83711 | 13389 | -12657 | 19418 | 5730 | -5417 | 0.234 | 1193 | 0 | 0
2/10/2026 | 22 | 80518 | 13064 | -12071 | 19348 | 5591 | -5166 | 0.243 | 1068 | 0 | 0
2/10/2026 | 23 | 75768 | 13434 | -12192 | 19178 | 5750 | -5218 | 0.256 | 784 | 0 | 0
2/10/2026 | 24 | 71785 | 13919 | -12176 | 19071 | 5957 | -5211 | 0.27 | 507 | 0 | 0
2/11/2026 | 1 | 69092 | 13090 | -11382 | 18786 | 5602 | -4872 | 0.276 | 663 | 34 | 0.051
2/11/2026 | 2 | 67830 | 13126 | -11627 | 18312 | 5618 | -4976 | 0.273 | 558 | 10 | 0.018
2/11/2026 | 3 | 67174 | 12887 | -11535 | 18124 | 5516 | -4937 | 0.273 | 717 | 54 | 0.075
2/11/2026 | 4 | 67610 | 12618 | -11529 | 17741 | 5400 | -4934 | 0.265 | 714 | 22 | 0.031
2/11/2026 | 5 | 70222 | 12668 | -11709 | 17780 | 5422 | -5011 | 0.256 | 808 | 12 | 0.015
2/11/2026 | 6 | 75682 | 12408 | -11747 | 18032 | 5311 | -5028 | 0.24 | 888 | 1 | 0.001
2/11/2026 | 7 | 82344 | 10836 | -10695 | 18776 | 4638 | -4578 | 0.228 | 952 | 0 | 0
2/11/2026 | 8 | 85801 | 10847 | -10829 | 18581 | 4643 | -4634 | 0.217 | 835 | 67 | 0.08
2/11/2026 | 9 | 84430 | 10274 | -10288 | 17825 | 4397 | -4403 | 0.211 | 567 | 0 | 0
2/11/2026 | 10 | 81583 | 10508 | -10648 | 16936 | 4497 | -4557 | 0.207 | 532 | 0 | 0
2/11/2026 | 11 | 79855 | 11063 | -11048 | 16054 | 4735 | -4728 | 0.201 | 358 | 0 | 0
2/11/2026 | 12 | 78854 | 10938 | -11006 | 15366 | 4681 | -4710 | 0.195 | 102 | 0 | 0
2/11/2026 | 13 | 78119 | 10676 | -10832 | 14891 | 4569 | -4636 | 0.19 | 19 | 0 | 0
2/11/2026 | 14 | 77826 | 10740 | -11014 | 15149 | 4597 | -4714 | 0.194 | 597 | 0 | 0
2/11/2026 | 15 | 78229 | 10776 | -11067 | 15475 | 4612 | -4736 | 0.197 | 257 | 0 | 0
2/11/2026 | 16 | 79407 | 10366 | -10977 | 16011 | 4436 | -4698 | 0.2 | 284 | 0 | 0
2/11/2026 | 17 | 80999 | 10857 | -11319 | 16861 | 4647 | -4845 | 0.207 | 816 | 0 | 0
2/11/2026 | 18 | 84891 | 11348 | -11622 | 17303 | 4857 | -4974 | 0.203 | 875 | 4 | 0.005
2/11/2026 | 19 | 87352 | 11726 | -11819 | 17558 | 5018 | -5059 | 0.201 | 810 | 0 | 0
2/11/2026 | 20 | 86128 | 12049 | -11801 | 17742 | 5157 | -5051 | 0.207 | 843 | 0 | 0
2/11/2026 | 21 | 83896 | 11485 | -10961 | 17903 | 4916 | -4691 | 0.215 | 915 | 0 | 0
2/11/2026 | 22 | 81132 | 11794 | -11094 | 17775 | 5048 | -4748 | 0.221 | 861 | 0 | 0
2/11/2026 | 23 | 76317 | 12691 | -11745 | 17390 | 5432 | -5027 | 0.23 | 950 | 0 | 0
2/11/2026 | 24 | 72458 | 12968 | -11783 | 16876 | 5550 | -5043 | 0.236 | 1016 | 0 | 0
2/12/2026 | 1 | 70824 | 14301 | -13147 | 16544 | 6121 | -5627 | 0.237 | 862 | 0 | 0
2/12/2026 | 2 | 69311 | 14090 | -12987 | 16534 | 6030 | -5559 | 0.242 | 750 | 0 | 0
2/12/2026 | 3 | 68398 | 14161 | -13035 | 16788 | 6061 | -5579 | 0.248 | 537 | 0 | 0
2/12/2026 | 4 | 68532 | 13840 | -12822 | 17168 | 5923 | -5488 | 0.253 | 369 | 0 | 0
2/12/2026 | 5 | 71363 | 14415 | -13478 | 17331 | 6170 | -5769 | 0.245 | 662 | 0 | 0
2/12/2026 | 6 | 77121 | 14576 | -13956 | 17591 | 6238 | -5973 | 0.23 | 543 | 0 | 0
2/12/2026 | 7 | 83722 | 12569 | -12355 | 18125 | 5380 | -5288 | 0.217 | 744 | 24 | 0.032
2/12/2026 | 8 | 85801 | 12742 | -12559 | 17458 | 5454 | -5375 | 0.204 | 444 | 2 | 0.005
2/12/2026 | 9 | 82987 | 11101 | -10984 | 14621 | 4751 | -4701 | 0.177 | 0 | 0 | 0
2/12/2026 | 10 | 79324 | 9550 | -9493 | 13289 | 4087 | -4063 | 0.168 | 0 | 0 | 0
2/12/2026 | 11 | 75428 | 9544 | -9158 | 12830 | 4085 | -3920 | 0.171 | 0 | 0 | 0
2/12/2026 | 12 | 72574 | 9621 | -9259 | 12534 | 4118 | -3963 | 0.174 | 0 | 0 | 0
2/12/2026 | 13 | 71418 | 9555 | -9598 | 12287 | 4090 | -4108 | 0.172 | 0 | 0 | 0
2/12/2026 | 14 | 71096 | 9794 | -9934 | 12283 | 4192 | -4252 | 0.172 | 0 | 0 | 0
2/12/2026 | 15 | 73172 | 9529 | -10074 | 12521 | 4079 | -4312 | 0.169 | 0 | 0 | 0
2/12/2026 | 16 | 76282 | 9620 | -10210 | 13473 | 4118 | -4370 | 0.175 | 0 | 0 | 0
2/12/2026 | 17 | 80190 | 11587 | -11848 | 16230 | 4959 | -5071 | 0.202 | 4 | 0 | 0
2/12/2026 | 18 | 85001 | 12761 | -12823 | 16999 | 5462 | -5488 | 0.2 | 642 | 0 | 0
2/12/2026 | 19 | 86166 | 13162 | -12790 | 17216 | 5633 | -5474 | 0.201 | 702 | 0 | 0
2/12/2026 | 20 | 84621 | 13485 | -12728 | 17413 | 5772 | -5447 | 0.208 | 899 | 0 | 0
2/12/2026 | 21 | 82615 | 12972 | -11979 | 17767 | 5552 | -5127 | 0.218 | 896 | 0 | 0
2/12/2026 | 22 | 79672 | 12518 | -11258 | 17850 | 5358 | -4819 | 0.227 | 1154 | 0 | 0
2/12/2026 | 23 | 75681 | 13839 | -12469 | 17997 | 5923 | -5337 | 0.241 | 982 | 0 | 0
2/12/2026 | 24 | 71948 | 13947 | -12471 | 17883 | 5969 | -5338 | 0.252 | 1140 | 3 | 0.003
2/13/2026 | 1 | 69524 | 14146 | -12498 | 17821 | 6054 | -5349 | 0.26 | 1357 | 82 | 0.06
2/13/2026 | 2 | 67888 | 14201 | -12667 | 17353 | 6078 | -5421 | 0.259 | 1085 | 104 | 0.096
2/13/2026 | 3 | 66977 | 14260 | -12754 | 17060 | 6104 | -5459 | 0.259 | 856 | 58 | 0.068
2/13/2026 | 4 | 67155 | 13886 | -12356 | 17060 | 5943 | -5288 | 0.258 | 632 | 0 | 0
2/13/2026 | 5 | 69528 | 13774 | -12587 | 17287 | 5895 | -5387 | 0.252 | 702 | 35 | 0.05
2/13/2026 | 6 | 74411 | 13427 | -12595 | 17783 | 5747 | -5391 | 0.241 | 928 | 3 | 0.003
2/13/2026 | 7 | 80952 | 11342 | -11104 | 18037 | 4854 | -4752 | 0.223 | 1076 | 76 | 0.071
2/13/2026 | 8 | 83700 | 11145 | -11003 | 18096 | 4770 | -4710 | 0.217 | 603 | 40 | 0.066
2/13/2026 | 9 | 82028 | 10099 | -9961 | 16295 | 4322 | -4263 | 0.199 | 0 | 0 | 0
2/13/2026 | 10 | 80407 | 9614 | -9658 | 14476 | 4115 | -4134 | 0.18 | 0 | 0 | 0
2/13/2026 | 11 | 77772 | 9546 | -9627 | 13692 | 4086 | -4120 | 0.176 | 0 | 0 | 0
2/13/2026 | 12 | 74871 | 8847 | -8925 | 13211 | 3787 | -3820 | 0.176 | 0 | 0 | 0
2/13/2026 | 13 | 74761 | 8917 | -9210 | 13357 | 3817 | -3942 | 0.178 | 0 | 0 | 0
2/13/2026 | 14 | 73628 | 9555 | -9946 | 13601 | 4089 | -4257 | 0.183 | 0 | 0 | 0
2/13/2026 | 15 | 73619 | 9526 | -9983 | 13406 | 4077 | -4273 | 0.181 | 0 | 0 | 0
2/13/2026 | 16 | 77648 | 9052 | -10091 | 14323 | 3874 | -4319 | 0.181 | 0 | 0 | 0
2/13/2026 | 17 | 81082 | 10731 | -11456 | 16377 | 4593 | -4903 | 0.2 | 0 | 0 | 0
2/13/2026 | 18 | 85753 | 10925 | -11290 | 17824 | 4676 | -4832 | 0.207 | 6 | 0 | 0
2/13/2026 | 19 | 86668 | 11045 | -11183 | 18151 | 4727 | -4787 | 0.209 | 712 | 0 | 0
2/13/2026 | 20 | 84986 | 11333 | -11284 | 18114 | 4850 | -4830 | 0.213 | 1066 | 0 | 0
2/13/2026 | 21 | 82729 | 10768 | -10567 | 18066 | 4609 | -4523 | 0.219 | 1050 | 0 | 0
2/13/2026 | 22 | 80108 | 10916 | -10685 | 18077 | 4672 | -4574 | 0.226 | 852 | 9 | 0.011
2/13/2026 | 23 | 76461 | 13045 | -12362 | 17908 | 5583 | -5290 | 0.236 | 743 | 24 | 0.032
2/13/2026 | 24 | 72912 | 13045 | -12109 | 17704 | 5583 | -5183 | 0.245 | 613 | 6 | 0.01
2/14/2026 | 1 | 71100 | 13565 | -12639 | 17635 | 5806 | -5410 | 0.25 | 1114 | 131 | 0.118
2/14/2026 | 2 | 69573 | 13377 | -12552 | 17190 | 5725 | -5372 | 0.249 | 968 | 159 | 0.164
2/14/2026 | 3 | 68032 | 13255 | -12308 | 16649 | 5673 | -5268 | 0.247 | 1220 | 304 | 0.249
2/14/2026 | 4 | 67711 | 13542 | -12646 | 16255 | 5796 | -5412 | 0.243 | 1361 | 362 | 0.266
2/14/2026 | 5 | 69013 | 13713 | -13040 | 16530 | 5869 | -5582 | 0.241 | 1468 | 391 | 0.266
2/14/2026 | 6 | 71521 | 14211 | -13752 | 16042 | 6082 | -5886 | 0.226 | 1217 | 152 | 0.125
2/14/2026 | 7 | 74708 | 13067 | -12608 | 16043 | 5592 | -5396 | 0.216 | 1237 | 220 | 0.178
2/14/2026 | 8 | 75072 | 11426 | -10800 | 13913 | 4890 | -4623 | 0.187 | 514 | 42 | 0.082
2/14/2026 | 9 | 74276 | 10214 | -9518 | 11155 | 4372 | -4074 | 0.153 | 0 | 0 | 0
2/14/2026 | 10 | 72620 | 9843 | -9167 | 10617 | 4213 | -3924 | 0.149 | 0 | 0 | 0
2/14/2026 | 11 | 69663 | 9663 | -8842 | 9925 | 4136 | -3784 | 0.146 | 0 | 0 | 0
2/14/2026 | 12 | 67781 | 9998 | -9178 | 9604 | 4279 | -3928 | 0.145 | 0 | 0 | 0
2/14/2026 | 13 | 66725 | 10190 | -9337 | 9540 | 4362 | -3996 | 0.147 | 0 | 0 | 0
2/14/2026 | 14 | 66730 | 10340 | -9447 | 9567 | 4425 | -4043 | 0.147 | 0 | 0 | 0
2/14/2026 | 15 | 68402 | 10265 | -9505 | 9966 | 4394 | -4068 | 0.149 | 0 | 0 | 0
2/14/2026 | 16 | 71278 | 9809 | -9385 | 11235 | 4198 | -4017 | 0.159 | 0 | 0 | 0
2/14/2026 | 17 | 76045 | 10693 | -10328 | 14212 | 4577 | -4420 | 0.188 | 175 | 0 | 0
2/14/2026 | 18 | 80844 | 12295 | -11852 | 15693 | 5262 | -5072 | 0.195 | 755 | 0 | 0
2/14/2026 | 19 | 82534 | 12172 | -11966 | 16192 | 5210 | -5121 | 0.197 | 702 | 0 | 0
2/14/2026 | 20 | 81070 | 12055 | -11870 | 16174 | 5160 | -5080 | 0.2 | 697 | 0 | 0
2/14/2026 | 21 | 79314 | 11577 | -11387 | 16205 | 4955 | -4874 | 0.205 | 790 | 0 | 0
2/14/2026 | 22 | 77458 | 11423 | -11218 | 16128 | 4889 | -4801 | 0.209 | 859 | 0 | 0
2/14/2026 | 23 | 74795 | 12587 | -12369 | 15888 | 5387 | -5294 | 0.213 | 632 | 11 | 0.017
2/14/2026 | 24 | 71784 | 12475 | -12133 | 15844 | 5339 | -5193 | 0.222 | 680 | 18 | 0.026
2/15/2026 | 1 | 69734 | 12028 | -11599 | 16109 | 5148 | -4964 | 0.232 | 962 | 88 | 0.091
2/15/2026 | 2 | 68040 | 12193 | -11663 | 15650 | 5219 | -4992 | 0.232 | 640 | 5 | 0.008
2/15/2026 | 3 | 66813 | 12819 | -12167 | 15202 | 5486 | -5208 | 0.229 | 621 | 0 | 0
2/15/2026 | 4 | 66488 | 12595 | -11857 | 15002 | 5391 | -5075 | 0.228 | 594 | 5 | 0.008
2/15/2026 | 5 | 67184 | 13032 | -12296 | 14767 | 5578 | -5262 | 0.222 | 716 | 79 | 0.11
2/15/2026 | 6 | 69145 | 12744 | -12116 | 14989 | 5455 | -5186 | 0.219 | 759 | 1 | 0.001
2/15/2026 | 7 | 71907 | 11568 | -11231 | 15100 | 4951 | -4807 | 0.211 | 714 | 4 | 0.006
2/15/2026 | 8 | 72710 | 10686 | -10272 | 13595 | 4574 | -4396 | 0.188 | 623 | 0 | 0
2/15/2026 | 9 | 72698 | 9815 | -9473 | 12335 | 4201 | -4055 | 0.171 | 1 | 0 | 0
2/15/2026 | 10 | 70594 | 9618 | -9274 | 10968 | 4117 | -3970 | 0.157 | 0 | 0 | 0
2/15/2026 | 11 | 68729 | 9586 | -9314 | 10467 | 4103 | -3986 | 0.153 | 0 | 0 | 0
2/15/2026 | 12 | 68709 | 9609 | -9530 | 10477 | 4113 | -4079 | 0.153 | 0 | 0 | 0
2/15/2026 | 13 | 68918 | 9596 | -9733 | 10814 | 4107 | -4166 | 0.156 | 0 | 0 | 0
2/15/2026 | 14 | 69898 | 9779 | -10138 | 11018 | 4186 | -4339 | 0.156 | 0 | 0 | 0
2/15/2026 | 15 | 71773 | 9673 | -10336 | 11275 | 4140 | -4424 | 0.155 | 0 | 0 | 0
2/15/2026 | 16 | 74378 | 10090 | -10625 | 12987 | 4318 | -4548 | 0.173 | 0 | 0 | 0
2/15/2026 | 17 | 78254 | 11122 | -11166 | 15241 | 4760 | -4779 | 0.195 | 685 | 0 | 0
2/15/2026 | 18 | 82378 | 11676 | -11541 | 15462 | 4997 | -4940 | 0.188 | 946 | 2 | 0.002
2/15/2026 | 19 | 83667 | 11790 | -11649 | 15679 | 5046 | -4986 | 0.188 | 888 | 0 | 0
2/15/2026 | 20 | 82487 | 12025 | -11720 | 16050 | 5147 | -5016 | 0.195 | 664 | 0 | 0
2/15/2026 | 21 | 80625 | 11567 | -11275 | 16044 | 4951 | -4826 | 0.2 | 884 | 2 | 0.002
2/15/2026 | 22 | 78486 | 11517 | -11300 | 15775 | 4929 | -4836 | 0.202 | 1051 | 13 | 0.012
2/15/2026 | 23 | 74865 | 12509 | -12000 | 15656 | 5354 | -5136 | 0.211 | 1230 | 42 | 0.034
2/15/2026 | 24 | 71980 | 12420 | -12142 | 15621 | 5316 | -5197 | 0.218 | 1132 | 60 | 0.053
2/16/2026 | 1 | 69862 | 12640 | -12213 | 15725 | 5410 | -5227 | 0.226 | 1241 | 43 | 0.035
2/16/2026 | 2 | 68205 | 12881 | -12554 | 15720 | 5513 | -5373 | 0.231 | 580 | 0 | 0
2/16/2026 | 3 | 67640 | 12910 | -12671 | 15690 | 5526 | -5423 | 0.233 | 706 | 0 | 0
2/16/2026 | 4 | 68524 | 12768 | -12845 | 15806 | 5465 | -5498 | 0.23 | 683 | 0 | 0
2/16/2026 | 5 | 70689 | 12882 | -12995 | 16216 | 5514 | -5562 | 0.229 | 820 | 0 | 0
2/16/2026 | 6 | 74317 | 12883 | -12894 | 16791 | 5514 | -5518 | 0.226 | 637 | 0 | 0
2/16/2026 | 7 | 78623 | 11318 | -11557 | 17006 | 4844 | -4947 | 0.216 | 828 | 0 | 0
2/16/2026 | 8 | 81146 | 11450 | -11642 | 16808 | 4901 | -4982 | 0.207 | 576 | 1 | 0.002
2/16/2026 | 9 | 83303 | 10994 | -11212 | 16953 | 4706 | -4799 | 0.203 | 844 | 15 | 0.018
2/16/2026 | 10 | 84210 | 11201 | -11307 | 16445 | 4794 | -4839 | 0.195 | 1540 | 275 | 0.179
2/16/2026 | 11 | 84670 | 11813 | -11770 | 15723 | 5056 | -5037 | 0.186 | 1635 | 395 | 0.242
2/16/2026 | 12 | 85623 | 12404 | -12324 | 15984 | 5309 | -5275 | 0.187 | 1998 | 463 | 0.232
2/16/2026 | 13 | 85353 | 13207 | -13059 | 15696 | 5653 | -5589 | 0.184 | 1754 | 440 | 0.251
2/16/2026 | 14 | 85094 | 13632 | -13269 | 15897 | 5834 | -5679 | 0.188 | 1092 | 198 | 0.181
2/16/2026 | 15 | 85277 | 13382 | -13085 | 16670 | 5728 | -5601 | 0.196 | 734 | 31 | 0.042
2/16/2026 | 16 | 85763 | 13337 | -13003 | 17858 | 5708 | -5565 | 0.209 | 419 | 1 | 0.002
2/16/2026 | 17 | 87318 | 14108 | -13409 | 18365 | 6038 | -5739 | 0.212 | 847 | 0 | 0
2/16/2026 | 18 | 90417 | 14583 | -13662 | 18641 | 6242 | -5848 | 0.208 | 878 | 0 | 0
2/16/2026 | 19 | 91457 | 14695 | -13707 | 18642 | 6290 | -5867 | 0.206 | 838 | 0 | 0
2/16/2026 | 20 | 89772 | 14113 | -13354 | 18423 | 6040 | -5715 | 0.207 | 800 | 0 | 0
2/16/2026 | 21 | 87069 | 14734 | -13830 | 18316 | 6306 | -5919 | 0.213 | 679 | 0 | 0
2/16/2026 | 22 | 83562 | 14748 | -13720 | 17904 | 6312 | -5872 | 0.217 | 751 | 5 | 0.007
2/16/2026 | 23 | 78878 | 15415 | -14176 | 17224 | 6598 | -6067 | 0.222 | 670 | 0 | 0
2/16/2026 | 24 | 75194 | 14942 | -13752 | 16524 | 6395 | -5886 | 0.223 | 469 | 0 | 0
2/17/2026 | 1 | 72961 | 14982 | -13910 | 15437 | 6412 | -5953 | 0.215 | 479 | 17 | 0.035
2/17/2026 | 2 | 71605 | 14463 | -13746 | 14457 | 6190 | -5883 | 0.204 | 604 | 37 | 0.061
2/17/2026 | 3 | 70905 | 14128 | -13551 | 14231 | 6047 | -5800 | 0.203 | 527 | 18 | 0.034
2/17/2026 | 4 | 70930 | 14224 | -13328 | 14134 | 6088 | -5705 | 0.202 | 469 | 10 | 0.021
2/17/2026 | 5 | 73414 | 14712 | -13665 | 14478 | 6297 | -5848 | 0.2 | 630 | 3 | 0.005
2/17/2026 | 6 | 79208 | 14449 | -13579 | 15752 | 6184 | -5812 | 0.201 | 832 | 0 | 0
2/17/2026 | 7 | 85606 | 13289 | -12680 | 16273 | 5688 | -5427 | 0.192 | 815 | 0 | 0
2/17/2026 | 8 | 88180 | 13297 | -12567 | 14969 | 5691 | -5379 | 0.172 | 146 | 0 | 0
2/17/2026 | 9 | 87602 | 11768 | -11150 | 13007 | 5037 | -4772 | 0.15 | 123 | 0 | 0
2/17/2026 | 10 | 85688 | 11518 | -10743 | 12327 | 4930 | -4598 | 0.146 | 0 | 0 | 0
2/17/2026 | 11 | 84224 | 11311 | -10358 | 12254 | 4841 | -4433 | 0.149 | 0 | 0 | 0
2/17/2026 | 12 | 83134 | 11230 | -10315 | 12763 | 4806 | -4415 | 0.157 | 0 | 0 | 0
2/17/2026 | 13 | 82247 | 11712 | -10838 | 12742 | 5013 | -4639 | 0.158 | 0 | 0 | 0
2/17/2026 | 14 | 80714 | 11777 | -10850 | 12129 | 5041 | -4644 | 0.153 | 0 | 0 | 0
2/17/2026 | 15 | 79542 | 12011 | -11138 | 12616 | 5141 | -4767 | 0.162 | 0 | 0 | 0
2/17/2026 | 16 | 81802 | 11886 | -11318 | 13320 | 5087 | -4844 | 0.165 | 0 | 0 | 0
2/17/2026 | 17 | 86784 | 13224 | -12751 | 15527 | 5660 | -5458 | 0.18 | 0 | 0 | 0
2/17/2026 | 18 | 91779 | 13008 | -12444 | 17077 | 5568 | -5326 | 0.188 | 133 | 0 | 0
2/17/2026 | 19 | 93075 | 12708 | -12178 | 17132 | 5439 | -5212 | 0.185 | 523 | 0 | 0
2/17/2026 | 20 | 91592 | 12698 | -12006 | 16760 | 5435 | -5138 | 0.185 | 641 | 0 | 0
2/17/2026 | 21 | 89123 | 12852 | -11833 | 16528 | 5501 | -5065 | 0.188 | 692 | 1 | 0.001
2/17/2026 | 22 | 86224 | 12525 | -11813 | 16478 | 5361 | -5056 | 0.193 | 844 | 5 | 0.006
2/17/2026 | 23 | 81242 | 13355 | -12455 | 16242 | 5716 | -5331 | 0.202 | 924 | 44 | 0.048
2/17/2026 | 24 | 77050 | 14140 | -12956 | 15877 | 6052 | -5545 | 0.209 | 660 | 1 | 0.002
2/18/2026 | 1 | 75076 | 14188 | -12808 | 15903 | 6073 | -5482 | 0.216 | 790 | 80 | 0.101
2/18/2026 | 2 | 73470 | 14853 | -13479 | 15639 | 6357 | -5769 | 0.217 | 938 | 103 | 0.11
2/18/2026 | 3 | 72966 | 14693 | -13658 | 15298 | 6288 | -5846 | 0.213 | 1162 | 164 | 0.141
2/18/2026 | 4 | 73519 | 14416 | -13543 | 15436 | 6170 | -5796 | 0.213 | 1057 | 114 | 0.108
2/18/2026 | 5 | 76499 | 14522 | -13988 | 15661 | 6215 | -5987 | 0.206 | 698 | 13 | 0.019
2/18/2026 | 6 | 82090 | 14212 | -14065 | 16304 | 6083 | -6020 | 0.199 | 942 | 5 | 0.005
2/18/2026 | 7 | 88765 | 12144 | -12513 | 17060 | 5198 | -5356 | 0.191 | 998 | 2 | 0.002
2/18/2026 | 8 | 91193 | 12354 | -12700 | 16308 | 5288 | -5436 | 0.178 | 624 | 0 | 0
2/18/2026 | 9 | 88863 | 10705 | -11055 | 14099 | 4581 | -4732 | 0.158 | 76 | 0 | 0
2/18/2026 | 10 | 86545 | 10562 | -10954 | 13306 | 4520 | -4688 | 0.152 | 0 | 0 | 0
2/18/2026 | 11 | 84211 | 10384 | -10885 | 13034 | 4444 | -4658 | 0.153 | 0 | 0 | 0
2/18/2026 | 12 | 81950 | 10074 | -10386 | 12382 | 4312 | -4445 | 0.15 | 0 | 0 | 0
2/18/2026 | 13 | 80982 | 9805 | -10113 | 12131 | 4197 | -4328 | 0.149 | 0 | 0 | 0
2/18/2026 | 14 | 80849 | 9349 | -9721 | 12439 | 4001 | -4160 | 0.153 | 0 | 0 | 0
2/18/2026 | 15 | 81150 | 9412 | -9711 | 12778 | 4028 | -4156 | 0.156 | 0 | 0 | 0
2/18/2026 | 16 | 82699 | 9213 | -9389 | 13283 | 3943 | -4019 | 0.16 | 0 | 0 | 0
2/18/2026 | 17 | 87308 | 10441 | -10692 | 15748 | 4469 | -4576 | 0.18 | 281 | 0 | 0
2/18/2026 | 18 | 92798 | 10987 | -11276 | 18357 | 4703 | -4826 | 0.197 | 814 | 0 | 0
2/18/2026 | 19 | 95023 | 11331 | -11641 | 18692 | 4850 | -4982 | 0.196 | 939 | 0 | 0
2/18/2026 | 20 | 93523 | 11314 | -11517 | 18496 | 4842 | -4929 | 0.197 | 1220 | 0 | 0
2/18/2026 | 21 | 91285 | 10652 | -10715 | 18476 | 4559 | -4586 | 0.202 | 980 | 0 | 0
2/18/2026 | 22 | 88556 | 10394 | -10448 | 18546 | 4449 | -4472 | 0.209 | 1327 | 108 | 0.081
2/18/2026 | 23 | 83636 | 12291 | -11848 | 18228 | 5261 | -5071 | 0.219 | 1292 | 87 | 0.067
2/18/2026 | 24 | 79712 | 12494 | -11913 | 17837 | 5348 | -5099 | 0.225 | 852 | 23 | 0.027
2/19/2026 | 1 | 77748 | 12242 | -11746 | 17917 | 5239 | -5027 | 0.232 | 1236 | 18 | 0.015
2/19/2026 | 2 | 75998 | 12472 | -12176 | 17592 | 5338 | -5211 | 0.232 | 734 | 0 | 0
2/19/2026 | 3 | 75102 | 12478 | -12190 | 17701 | 5341 | -5217 | 0.236 | 702 | 0 | 0
2/19/2026 | 4 | 75651 | 12506 | -12216 | 18116 | 5353 | -5229 | 0.24 | 521 | 0 | 0
2/19/2026 | 5 | 78465 | 12517 | -12327 | 18539 | 5357 | -5276 | 0.237 | 246 | 0 | 0
2/19/2026 | 6 | 84553 | 12658 | -12674 | 19216 | 5418 | -5425 | 0.227 | 169 | 0 | 0
2/19/2026 | 7 | 90973 | 10692 | -11077 | 19675 | 4576 | -4741 | 0.215 | 227 | 5 | 0.022
2/19/2026 | 8 | 93516 | 11095 | -11560 | 18746 | 4749 | -4948 | 0.199 | 232 | 13 | 0.056
2/19/2026 | 9 | 92455 | 10369 | -10863 | 16783 | 4438 | -4649 | 0.18 | 64 | 3 | 0.047
2/19/2026 | 10 | 89433 | 9991 | -10454 | 15727 | 4276 | -4474 | 0.175 | 0 | 0 | 0
2/19/2026 | 11 | 87892 | 10045 | -10570 | 15621 | 4299 | -4524 | 0.176 | 0 | 0 | 0
2/19/2026 | 12 | 86972 | 9799 | -10380 | 15664 | 4194 | -4443 | 0.178 | 0 | 0 | 0
2/19/2026 | 13 | 83979 | 9434 | -10086 | 14992 | 4038 | -4317 | 0.177 | 0 | 0 | 0
2/19/2026 | 14 | 82723 | 9209 | -9980 | 14512 | 3942 | -4271 | 0.173 | 0 | 0 | 0
2/19/2026 | 15 | 82251 | 9337 | -9966 | 14270 | 3996 | -4265 | 0.172 | 0 | 0 | 0
2/19/2026 | 16 | 84036 | 8983 | -9838 | 14908 | 3845 | -4211 | 0.175 | 12 | 0 | 0
2/19/2026 | 17 | 88312 | 9987 | -11073 | 17277 | 4274 | -4739 | 0.193 | 0 | 0 | 0
2/19/2026 | 18 | 93185 | 10670 | -11475 | 18630 | 4566 | -4911 | 0.198 | 7 | 0 | 0
2/19/2026 | 19 | 95574 | 11398 | -11913 | 18973 | 4878 | -5098 | 0.197 | 215 | 0 | 0
2/19/2026 | 20 | 94683 | 11431 | -11777 | 19354 | 4892 | -5040 | 0.204 | 570 | 0 | 0
2/19/2026 | 21 | 92535 | 11008 | -11063 | 19524 | 4712 | -4735 | 0.211 | 631 | 0 | 0
2/19/2026 | 22 | 89343 | 10588 | -10631 | 19562 | 4532 | -4550 | 0.219 | 747 | 0 | 0
2/19/2026 | 23 | 84774 | 12194 | -11925 | 19604 | 5219 | -5104 | 0.232 | 941 | 0 | 0
2/19/2026 | 24 | 80950 | 12088 | -11770 | 19603 | 5174 | -5037 | 0.243 | 418 | 0 | 0
2/20/2026 | 1 | 79232 | 11609 | -11366 | 19018 | 4968 | -4865 | 0.241 | 926 | 0 | 0
2/20/2026 | 2 | 77955 | 11863 | -11638 | 18713 | 5077 | -4981 | 0.241 | 605 | 0 | 0
2/20/2026 | 3 | 77380 | 11888 | -11736 | 19038 | 5088 | -5023 | 0.246 | 534 | 0 | 0
2/20/2026 | 4 | 78109 | 11424 | -11221 | 19081 | 4890 | -4802 | 0.245 | 540 | 0 | 0
2/20/2026 | 5 | 80857 | 11681 | -11638 | 19056 | 4999 | -4981 | 0.236 | 406 | 0 | 0
2/20/2026 | 6 | 86142 | 12033 | -12078 | 19480 | 5150 | -5170 | 0.226 | 956 | 0 | 0
2/20/2026 | 7 | 92990 | 10359 | -10854 | 20101 | 4434 | -4646 | 0.215 | 1123 | 44 | 0.039
2/20/2026 | 8 | 94920 | 10652 | -11142 | 18449 | 4559 | -4769 | 0.193 | 652 | 21 | 0.032
2/20/2026 | 9 | 92114 | 9611 | -9835 | 14948 | 4114 | -4210 | 0.162 | 377 | 0 | 0
2/20/2026 | 10 | 88060 | 9330 | -9618 | 13432 | 3993 | -4116 | 0.152 | 0 | 0 | 0
2/20/2026 | 11 | 84371 | 9036 | -9298 | 12976 | 3868 | -3980 | 0.153 | 0 | 0 | 0
2/20/2026 | 12 | 81561 | 9206 | -9465 | 12815 | 3940 | -4051 | 0.156 | 0 | 0 | 0
2/20/2026 | 13 | 79256 | 9220 | -9605 | 12443 | 3946 | -4111 | 0.156 | 0 | 0 | 0
2/20/2026 | 14 | 77715 | 9701 | -9961 | 11825 | 4152 | -4263 | 0.151 | 0 | 0 | 0
2/20/2026 | 15 | 78000 | 9430 | -9773 | 11910 | 4036 | -4182 | 0.151 | 0 | 0 | 0
2/20/2026 | 16 | 81409 | 9259 | -9982 | 12757 | 3963 | -4272 | 0.154 | 0 | 0 | 0
2/20/2026 | 17 | 86708 | 9257 | -10598 | 15915 | 3962 | -4536 | 0.18 | 32 | 0 | 0
2/20/2026 | 18 | 91481 | 10042 | -11266 | 18585 | 4298 | -4822 | 0.2 | 567 | 0 | 0
2/20/2026 | 19 | 93567 | 10140 | -11472 | 19079 | 4340 | -4910 | 0.201 | 684 | 8 | 0.012
2/20/2026 | 20 | 92318 | 10517 | -11480 | 18845 | 4501 | -4914 | 0.202 | 704 | 17 | 0.024
2/20/2026 | 21 | 90422 | 10315 | -11152 | 18422 | 4415 | -4773 | 0.202 | 994 | 54 | 0.054
2/20/2026 | 22 | 88032 | 10011 | -10562 | 18343 | 4285 | -4520 | 0.207 | 1195 | 67 | 0.056
2/20/2026 | 23 | 84076 | 11892 | -11999 | 18278 | 5090 | -5136 | 0.217 | 854 | 29 | 0.034
2/20/2026 | 24 | 80957 | 12093 | -12076 | 18052 | 5176 | -5168 | 0.223 | 882 | 52 | 0.059
2/21/2026 | 1 | 79151 | 13440 | -13356 | 17606 | 5752 | -5716 | 0.223 | 1572 | 276 | 0.176
2/21/2026 | 2 | 77447 | 13709 | -13650 | 17154 | 5867 | -5842 | 0.222 | 1252 | 120 | 0.096
2/21/2026 | 3 | 76241 | 13735 | -13574 | 17129 | 5879 | -5810 | 0.225 | 1042 | 32 | 0.031
2/21/2026 | 4 | 76392 | 13897 | -13872 | 16802 | 5948 | -5937 | 0.22 | 1137 | 51 | 0.045
2/21/2026 | 5 | 77481 | 13977 | -13888 | 16743 | 5982 | -5944 | 0.216 | 1359 | 193 | 0.142
2/21/2026 | 6 | 80468 | 13966 | -13991 | 17175 | 5977 | -5988 | 0.213 | 1026 | 52 | 0.051
2/21/2026 | 7 | 83327 | 12389 | -12544 | 16832 | 5303 | -5369 | 0.202 | 939 | 32 | 0.034
2/21/2026 | 8 | 82755 | 11410 | -11531 | 13191 | 4883 | -4935 | 0.159 | 365 | 3 | 0.008
2/21/2026 | 9 | 80212 | 8581 | -8622 | 10352 | 3673 | -3690 | 0.129 | 0 | 0 | 0
2/21/2026 | 10 | 76781 | 8705 | -8588 | 9726 | 3726 | -3676 | 0.127 | 0 | 0 | 0
2/21/2026 | 11 | 73550 | 8911 | -8657 | 9501 | 3814 | -3705 | 0.13 | 0 | 0 | 0
2/21/2026 | 12 | 70576 | 8941 | -8395 | 9118 | 3827 | -3593 | 0.131 | 0 | 0 | 0
2/21/2026 | 13 | 68622 | 8769 | -8375 | 9060 | 3753 | -3584 | 0.134 | 0 | 0 | 0
2/21/2026 | 14 | 68123 | 8141 | -7920 | 9054 | 3484 | -3390 | 0.134 | 0 | 0 | 0
2/21/2026 | 15 | 69618 | 8006 | -8109 | 9187 | 3427 | -3471 | 0.132 | 0 | 0 | 0
2/21/2026 | 16 | 73262 | 8442 | -8599 | 9894 | 3614 | -3680 | 0.134 | 0 | 0 | 0
2/21/2026 | 17 | 78379 | 9948 | -10093 | 12807 | 4258 | -4320 | 0.163 | 0 | 0 | 0
2/21/2026 | 18 | 84439 | 12405 | -12551 | 16052 | 5309 | -5372 | 0.19 | 480 | 0 | 0
2/21/2026 | 19 | 86888 | 12910 | -13317 | 16610 | 5526 | -5700 | 0.19 | 1000 | 0 | 0
2/21/2026 | 20 | 85838 | 12417 | -12757 | 16999 | 5315 | -5460 | 0.197 | 1015 | 0 | 0
2/21/2026 | 21 | 84131 | 12084 | -12213 | 17073 | 5172 | -5227 | 0.203 | 1150 | 1 | 0.001
2/21/2026 | 22 | 81991 | 12240 | -12224 | 16977 | 5238 | -5232 | 0.207 | 758 | 0 | 0
2/21/2026 | 23 | 78758 | 13383 | -13136 | 17020 | 5728 | -5622 | 0.217 | 672 | 0 | 0
2/21/2026 | 24 | 75840 | 13240 | -12949 | 16797 | 5667 | -5542 | 0.222 | 752 | 0 | 0
2/22/2026 | 1 | 74062 | 13929 | -13601 | 16837 | 5961 | -5821 | 0.228 | 882 | 0 | 0
2/22/2026 | 2 | 72186 | 13948 | -13566 | 16363 | 5970 | -5806 | 0.228 | 987 | 0 | 0
2/22/2026 | 3 | 71327 | 13858 | -13463 | 16268 | 5931 | -5762 | 0.229 | 1169 | 3 | 0.003
2/22/2026 | 4 | 70563 | 13965 | -13312 | 16110 | 5977 | -5698 | 0.23 | 1106 | 0 | 0
2/22/2026 | 5 | 71496 | 14023 | -13325 | 16232 | 6002 | -5703 | 0.229 | 1208 | 0 | 0
2/22/2026 | 6 | 73653 | 14155 | -13610 | 16247 | 6058 | -5825 | 0.222 | 1327 | 0 | 0
2/22/2026 | 7 | 75775 | 13643 | -13091 | 15722 | 5839 | -5603 | 0.209 | 1076 | 2 | 0.002
2/22/2026 | 8 | 75517 | 12540 | -11948 | 11871 | 5367 | -5114 | 0.159 | 425 | 6 | 0.014
2/22/2026 | 9 | 72801 | 10307 | -9881 | 9391 | 4411 | -4229 | 0.131 | 0 | 0 | 0
2/22/2026 | 10 | 70707 | 9960 | -9597 | 9224 | 4263 | -4107 | 0.132 | 0 | 0 | 0
2/22/2026 | 11 | 68205 | 9705 | -9510 | 8971 | 4154 | -4071 | 0.132 | 0 | 0 | 0
2/22/2026 | 12 | 66648 | 9668 | -9564 | 8988 | 4138 | -4093 | 0.135 | 0 | 0 | 0
2/22/2026 | 13 | 65149 | 9954 | -9578 | 8962 | 4260 | -4100 | 0.139 | 0 | 0 | 0
2/22/2026 | 14 | 65260 | 10352 | -9934 | 8958 | 4431 | -4252 | 0.139 | 0 | 0 | 0
2/22/2026 | 15 | 67013 | 10298 | -9907 | 9006 | 4408 | -4240 | 0.136 | 0 | 0 | 0
2/22/2026 | 16 | 70864 | 9829 | -9762 | 9397 | 4207 | -4178 | 0.133 | 0 | 0 | 0
2/22/2026 | 17 | 75806 | 11290 | -10754 | 11664 | 4832 | -4603 | 0.156 | 0 | 0 | 0
2/22/2026 | 18 | 81855 | 13189 | -12574 | 14883 | 5645 | -5382 | 0.184 | 1036 | 0 | 0
2/22/2026 | 19 | 84382 | 13601 | -12870 | 15512 | 5821 | -5508 | 0.186 | 998 | 0 | 0
2/22/2026 | 20 | 83226 | 13867 | -12934 | 15654 | 5935 | -5536 | 0.191 | 748 | 0 | 0
2/22/2026 | 21 | 81046 | 13383 | -12316 | 15561 | 5728 | -5271 | 0.195 | 1342 | 0 | 0
2/22/2026 | 22 | 77914 | 13816 | -12498 | 15340 | 5914 | -5350 | 0.201 | 1263 | 63 | 0.05
2/22/2026 | 23 | 73768 | 15032 | -13249 | 15289 | 6434 | -5671 | 0.212 | 1396 | 108 | 0.077
2/22/2026 | 24 | 70516 | 15062 | -13348 | 15113 | 6447 | -5713 | 0.219 | 1623 | 168 | 0.104
2/23/2026 | 1 | 68673 | 15543 | -13812 | 14823 | 6652 | -5911 | 0.221 | 1719 | 213 | 0.124
2/23/2026 | 2 | 67253 | 15608 | -13814 | 14544 | 6680 | -5912 | 0.222 | 1421 | 106 | 0.075
2/23/2026 | 3 | 66682 | 15629 | -13925 | 14354 | 6690 | -5960 | 0.221 | 1302 | 108 | 0.083
2/23/2026 | 4 | 67610 | 15364 | -13887 | 14423 | 6576 | -5943 | 0.218 | 1512 | 201 | 0.133
2/23/2026 | 5 | 70851 | 15545 | -14354 | 14398 | 6653 | -6143 | 0.207 | 1212 | 113 | 0.093
2/23/2026 | 6 | 76596 | 15443 | -14409 | 15092 | 6609 | -6167 | 0.2 | 802 | 4 | 0.005
2/23/2026 | 7 | 82420 | 14276 | -13303 | 14958 | 6110 | -5694 | 0.184 | 792 | 8 | 0.01
2/23/2026 | 8 | 83933 | 12967 | -12281 | 12504 | 5550 | -5256 | 0.151 | 459 | 8 | 0.017
2/23/2026 | 9 | 81297 | 10367 | -9940 | 9828 | 4437 | -4254 | 0.122 | 190 | 0 | 0
2/23/2026 | 10 | 78818 | 10022 | -9709 | 9231 | 4290 | -4155 | 0.118 | 0 | 0 | 0
2/23/2026 | 11 | 75444 | 10328 | -9640 | 8969 | 4420 | -4126 | 0.122 | 0 | 0 | 0
2/23/2026 | 12 | 72838 | 10719 | -9695 | 8844 | 4588 | -4149 | 0.126 | 0 | 0 | 0
2/23/2026 | 13 | 71928 | 10756 | -9670 | 8744 | 4603 | -4139 | 0.126 | 0 | 0 | 0
2/23/2026 | 14 | 73425 | 11037 | -10050 | 8991 | 4724 | -4301 | 0.127 | 0 | 0 | 0
2/23/2026 | 15 | 75356 | 10871 | -10100 | 9300 | 4653 | -4323 | 0.126 | 0 | 0 | 0
2/23/2026 | 16 | 79866 | 10994 | -10367 | 10277 | 4705 | -4437 | 0.131 | 0 | 0 | 0
2/23/2026 | 17 | 83440 | 13185 | -12371 | 13302 | 5643 | -5295 | 0.162 | 157 | 0 | 0
2/23/2026 | 18 | 87238 | 14094 | -12793 | 15478 | 6032 | -5475 | 0.181 | 653 | 0 | 0
2/23/2026 | 19 | 88822 | 14155 | -13036 | 15481 | 6058 | -5580 | 0.177 | 663 | 0 | 0
2/23/2026 | 20 | 87292 | 14306 | -13273 | 15364 | 6123 | -5681 | 0.179 | 884 | 9 | 0.01
2/23/2026 | 21 | 84451 | 14375 | -13253 | 15085 | 6152 | -5672 | 0.182 | 1110 | 0 | 0
2/23/2026 | 22 | 80877 | 14445 | -13251 | 14844 | 6182 | -5672 | 0.187 | 1158 | 1 | 0.001
2/23/2026 | 23 | 76501 | 15076 | -13929 | 14765 | 6452 | -5962 | 0.196 | 541 | 2 | 0.004
2/23/2026 | 24 | 72521 | 14925 | -13740 | 14330 | 6388 | -5881 | 0.201 | 664 | 28 | 0.042
2/24/2026 | 1 | 70572 | 15335 | -13983 | 13962 | 6563 | -5985 | 0.202 | 1004 | 123 | 0.123
2/24/2026 | 2 | 69037 | 15200 | -13794 | 13676 | 6506 | -5904 | 0.203 | 960 | 93 | 0.097
2/24/2026 | 3 | 68157 | 15092 | -13619 | 13516 | 6459 | -5829 | 0.203 | 1304 | 191 | 0.146
2/24/2026 | 4 | 68566 | 14922 | -13540 | 13478 | 6387 | -5795 | 0.201 | 1276 | 74 | 0.058
2/24/2026 | 5 | 71149 | 14870 | -13514 | 13895 | 6364 | -5784 | 0.2 | 859 | 50 | 0.058
2/24/2026 | 6 | 76598 | 14843 | -13692 | 14729 | 6353 | -5860 | 0.196 | 581 | 0 | 0
2/24/2026 | 7 | 82607 | 12234 | -11688 | 14833 | 5236 | -5002 | 0.181 | 742 | 21 | 0.028
2/24/2026 | 8 | 84193 | 12154 | -11736 | 12865 | 5202 | -5023 | 0.154 | 628 | 23 | 0.037
2/24/2026 | 9 | 82108 | 10549 | -10329 | 10723 | 4515 | -4421 | 0.131 | 147 | 0 | 0
2/24/2026 | 10 | 80061 | 10475 | -10370 | 10665 | 4483 | -4438 | 0.134 | 0 | 0 | 0
2/24/2026 | 11 | 78069 | 10904 | -10793 | 10240 | 4667 | -4619 | 0.132 | 0 | 0 | 0
2/24/2026 | 12 | 75796 | 10848 | -10720 | 10077 | 4643 | -4588 | 0.133 | 0 | 0 | 0
2/24/2026 | 13 | 76138 | 10841 | -10744 | 10276 | 4640 | -4599 | 0.135 | 0 | 0 | 0
2/24/2026 | 14 | 77672 | 10950 | -10784 | 10641 | 4686 | -4616 | 0.138 | 0 | 0 | 0
2/24/2026 | 15 | 79335 | 10801 | -10664 | 11006 | 4623 | -4564 | 0.139 | 0 | 0 | 0
2/24/2026 | 16 | 81688 | 10934 | -10939 | 12168 | 4680 | -4682 | 0.149 | 12 | 0 | 0
2/24/2026 | 17 | 83301 | 11449 | -11250 | 13978 | 4900 | -4815 | 0.168 | 168 | 0 | 0
2/24/2026 | 18 | 86982 | 12934 | -12451 | 14892 | 5536 | -5329 | 0.173 | 766 | 0 | 0
2/24/2026 | 19 | 88228 | 13490 | -13026 | 14917 | 5774 | -5575 | 0.17 | 0 | 0 | 0
2/24/2026 | 20 | 86625 | 13513 | -12760 | 14864 | 5784 | -5461 | 0.174 | 327 | 0 | 0
2/24/2026 | 21 | 84464 | 13215 | -12334 | 14908 | 5656 | -5279 | 0.179 | 659 | 0 | 0
2/24/2026 | 22 | 81213 | 13190 | -12332 | 14550 | 5645 | -5278 | 0.182 | 742 | 0 | 0
2/24/2026 | 23 | 76161 | 15568 | -14233 | 14176 | 6663 | -6092 | 0.19 | 539 | 0 | 0
2/24/2026 | 24 | 71866 | 15773 | -14203 | 13395 | 6751 | -6079 | 0.192 | 474 | 0 | 0
2/25/2026 | 1 | 70036 | 15654 | -14182 | 12521 | 6700 | -6070 | 0.184 | 605 | 2 | 0.003
2/25/2026 | 2 | 68456 | 16024 | -14623 | 11939 | 6858 | -6259 | 0.179 | 572 | 0 | 0
2/25/2026 | 3 | 67407 | 16387 | -15046 | 11068 | 7014 | -6440 | 0.169 | 509 | 0 | 0
2/25/2026 | 4 | 67504 | 16276 | -14966 | 10762 | 6966 | -6406 | 0.165 | 426 | 0 | 0
2/25/2026 | 5 | 70429 | 16026 | -14930 | 10657 | 6859 | -6390 | 0.156 | 726 | 10 | 0.014
2/25/2026 | 6 | 75856 | 15747 | -14821 | 11496 | 6740 | -6343 | 0.155 | 896 | 29 | 0.032
2/25/2026 | 7 | 81988 | 14012 | -13517 | 12442 | 5997 | -5786 | 0.153 | 654 | 1 | 0.002
2/25/2026 | 8 | 84293 | 13752 | -13561 | 11551 | 5886 | -5804 | 0.138 | 102 | 0 | 0
2/25/2026 | 9 | 82343 | 10994 | -11467 | 9426 | 4706 | -4908 | 0.113 | 0 | 0 | 0
2/25/2026 | 10 | 80045 | 10626 | -10956 | 8585 | 4548 | -4689 | 0.106 | 0 | 0 | 0
2/25/2026 | 11 | 77414 | 11252 | -11402 | 8472 | 4816 | -4880 | 0.109 | 0 | 0 | 0
2/25/2026 | 12 | 75006 | 11287 | -11223 | 8352 | 4831 | -4804 | 0.112 | 0 | 0 | 0
2/25/2026 | 13 | 73558 | 11067 | -10927 | 8326 | 4737 | -4677 | 0.114 | 0 | 0 | 0
2/25/2026 | 14 | 73256 | 10900 | -10970 | 8120 | 4665 | -4695 | 0.111 | 0 | 0 | 0
2/25/2026 | 15 | 75484 | 10931 | -10998 | 8041 | 4678 | -4707 | 0.106 | 0 | 0 | 0
2/25/2026 | 16 | 78776 | 10938 | -10919 | 8554 | 4682 | -4673 | 0.109 | 0 | 0 | 0
2/25/2026 | 17 | 82105 | 12610 | -12423 | 10755 | 5397 | -5317 | 0.132 | 0 | 0 | 0
2/25/2026 | 18 | 86201 | 15498 | -14871 | 12441 | 6633 | -6365 | 0.146 | 529 | 0 | 0
2/25/2026 | 19 | 88198 | 15742 | -15183 | 12685 | 6738 | -6498 | 0.146 | 233 | 0 | 0
2/25/2026 | 20 | 86540 | 15624 | -14691 | 12653 | 6687 | -6287 | 0.149 | 646 | 0 | 0
2/25/2026 | 21 | 84186 | 14977 | -14170 | 12743 | 6410 | -6065 | 0.154 | 596 | 0 | 0
2/25/2026 | 22 | 80930 | 15104 | -13996 | 12310 | 6465 | -5991 | 0.156 | 753 | 0 | 0
2/25/2026 | 23 | 75724 | 16866 | -15129 | 11681 | 7219 | -6475 | 0.16 | 806 | 31 | 0.038
2/25/2026 | 24 | 71682 | 17079 | -15234 | 11344 | 7310 | -6520 | 0.165 | 842 | 0 | 0
2/26/2026 | 1 | 69686 | 16808 | -15029 | 11145 | 7194 | -6432 | 0.167 | 666 | 0 | 0
2/26/2026 | 2 | 67764 | 16358 | -14526 | 10985 | 7001 | -6217 | 0.169 | 818 | 0 | 0
2/26/2026 | 3 | 66356 | 16266 | -14307 | 10863 | 6962 | -6124 | 0.171 | 736 | 0 | 0
2/26/2026 | 4 | 66566 | 16361 | -14386 | 11164 | 7002 | -6157 | 0.175 | 499 | 0 | 0
2/26/2026 | 5 | 68802 | 16310 | -14332 | 11372 | 6981 | -6134 | 0.173 | 0 | 0 | 0
2/26/2026 | 6 | 74093 | 15776 | -14081 | 11537 | 6752 | -6027 | 0.162 | 0 | 0 | 0
2/26/2026 | 7 | 79925 | 13209 | -12267 | 11895 | 5654 | -5250 | 0.152 | 0 | 0 | 0
2/26/2026 | 8 | 81849 | 12985 | -12423 | 10005 | 5558 | -5317 | 0.124 | 0 | 0 | 0
2/26/2026 | 9 | 79890 | 10201 | -9752 | 8446 | 4366 | -4174 | 0.108 | 0 | 0 | 0
2/26/2026 | 10 | 77865 | 10090 | -9822 | 8398 | 4318 | -4204 | 0.109 | 0 | 0 | 0
2/26/2026 | 11 | 74514 | 10295 | -10071 | 8484 | 4406 | -4310 | 0.115 | 0 | 0 | 0
2/26/2026 | 12 | 72314 | 10106 | -9874 | 8302 | 4325 | -4226 | 0.116 | 0 | 0 | 0
2/26/2026 | 13 | 72199 | 10152 | -10106 | 8570 | 4345 | -4326 | 0.119 | 0 | 0 | 0
2/26/2026 | 14 | 73542 | 9651 | -9840 | 8655 | 4131 | -4211 | 0.117 | 0 | 0 | 0
2/26/2026 | 15 | 75072 | 9310 | -9603 | 8610 | 3985 | -4110 | 0.113 | 0 | 0 | 0
2/26/2026 | 16 | 78969 | 9615 | -10032 | 9522 | 4115 | -4294 | 0.119 | 0 | 0 | 0
2/26/2026 | 17 | 82164 | 13587 | -13510 | 11625 | 5815 | -5782 | 0.142 | 211 | 9 | 0.043
2/26/2026 | 18 | 86686 | 14115 | -14060 | 13490 | 6041 | -6018 | 0.156 | 904 | 17 | 0.019
2/26/2026 | 19 | 88104 | 14427 | -14308 | 13740 | 6175 | -6124 | 0.156 | 925 | 50 | 0.054
2/26/2026 | 20 | 86544 | 14149 | -13831 | 13779 | 6056 | -5920 | 0.16 | 1016 | 68 | 0.067
2/26/2026 | 21 | 83992 | 14044 | -13655 | 13455 | 6011 | -5844 | 0.161 | 1106 | 83 | 0.075
2/26/2026 | 22 | 80690 | 14179 | -13543 | 13144 | 6069 | -5796 | 0.165 | 1002 | 73 | 0.073
2/26/2026 | 23 | 76507 | 15852 | -14914 | 12770 | 6785 | -6383 | 0.17 | 706 | 41 | 0.058
2/26/2026 | 24 | 72229 | 16267 | -15137 | 12726 | 6962 | -6478 | 0.18 | 634 | 50 | 0.079
2/27/2026 | 1 | 69928 | 14928 | -13756 | 12897 | 6389 | -5888 | 0.188 | 1321 | 231 | 0.175
2/27/2026 | 2 | 67521 | 14686 | -13387 | 12360 | 6285 | -5730 | 0.188 | 1132 | 247 | 0.218
2/27/2026 | 3 | 66358 | 15083 | -13682 | 12100 | 6456 | -5856 | 0.187 | 1147 | 229 | 0.2
2/27/2026 | 4 | 66507 | 15065 | -13723 | 12052 | 6448 | -5873 | 0.186 | 1189 | 200 | 0.168
2/27/2026 | 5 | 68713 | 14648 | -13485 | 12272 | 6269 | -5772 | 0.183 | 876 | 105 | 0.12
2/27/2026 | 6 | 73524 | 15090 | -14126 | 13307 | 6459 | -6046 | 0.184 | 731 | 40 | 0.055
2/27/2026 | 7 | 78741 | 12822 | -12515 | 13474 | 5488 | -5356 | 0.172 | 763 | 98 | 0.128
2/27/2026 | 8 | 79330 | 12251 | -11997 | 10296 | 5243 | -5135 | 0.131 | 387 | 43 | 0.111
2/27/2026 | 9 | 78264 | 9762 | -10068 | 9098 | 4178 | -4309 | 0.115 | 0 | 0 | 0
2/27/2026 | 10 | 75985 | 9497 | -9986 | 8798 | 4065 | -4274 | 0.114 | 0 | 0 | 0
2/27/2026 | 11 | 74083 | 9431 | -9952 | 8608 | 4036 | -4259 | 0.114 | 0 | 0 | 0
2/27/2026 | 12 | 73553 | 9110 | -9725 | 8509 | 3899 | -4162 | 0.113 | 0 | 0 | 0
2/27/2026 | 13 | 74322 | 9098 | -9819 | 8308 | 3894 | -4202 | 0.109 | 0 | 0 | 0
2/27/2026 | 14 | 75906 | 9070 | -10112 | 8196 | 3882 | -4328 | 0.104 | 15 | 1 | 0.067
2/27/2026 | 15 | 78370 | 8781 | -9673 | 8434 | 3758 | -4140 | 0.104 | 96 | 8 | 0.083
2/27/2026 | 16 | 82013 | 9277 | -10120 | 9228 | 3971 | -4331 | 0.109 | 323 | 32 | 0.099
2/27/2026 | 17 | 85148 | 12902 | -12901 | 11688 | 5522 | -5521 | 0.137 | 544 | 30 | 0.055
2/27/2026 | 18 | 87621 | 14203 | -14000 | 13344 | 6078 | -5992 | 0.153 | 986 | 119 | 0.121
2/27/2026 | 19 | 86933 | 15153 | -14655 | 13373 | 6486 | -6272 | 0.155 | 918 | 55 | 0.06
2/27/2026 | 20 | 85309 | 14834 | -14033 | 13476 | 6349 | -6006 | 0.16 | 983 | 49 | 0.05
2/27/2026 | 21 | 83286 | 13907 | -13239 | 13371 | 5952 | -5666 | 0.163 | 1021 | 97 | 0.095
2/27/2026 | 22 | 80468 | 13427 | -12856 | 13394 | 5747 | -5502 | 0.168 | 1110 | 82 | 0.074
2/27/2026 | 23 | 76474 | 14584 | -13668 | 13477 | 6242 | -5850 | 0.179 | 1005 | 95 | 0.095
2/27/2026 | 24 | 72747 | 14563 | -13416 | 12794 | 6233 | -5742 | 0.18 | 934 | 90 | 0.096
2/28/2026 | 1 | 70391 | 13493 | -12436 | 12254 | 5775 | -5322 | 0.178 | 1465 | 362 | 0.247
2/28/2026 | 2 | 68556 | 14114 | -13363 | 11946 | 6041 | -5719 | 0.177 | 1523 | 348 | 0.228
2/28/2026 | 3 | 67096 | 13706 | -12972 | 11877 | 5866 | -5552 | 0.18 | 1703 | 356 | 0.209
2/28/2026 | 4 | 66515 | 13691 | -12959 | 12143 | 5860 | -5546 | 0.185 | 1320 | 229 | 0.173
2/28/2026 | 5 | 67075 | 13593 | -12852 | 12408 | 5818 | -5501 | 0.188 | 1084 | 125 | 0.115
2/28/2026 | 6 | 69369 | 13363 | -12774 | 12901 | 5719 | -5468 | 0.188 | 897 | 42 | 0.047
2/28/2026 | 7 | 71940 | 11761 | -11464 | 12886 | 5033 | -4907 | 0.18 | 1086 | 90 | 0.083
2/28/2026 | 8 | 73001 | 10571 | -10076 | 10515 | 4524 | -4313 | 0.146 | 571 | 25 | 0.044
2/28/2026 | 9 | 73254 | 9278 | -9128 | 8744 | 3971 | -3906 | 0.12 | 0 | 0 | 0
2/28/2026 | 10 | 71951 | 9080 | -9212 | 8355 | 3886 | -3943 | 0.116 | 0 | 0 | 0
2/28/2026 | 11 | 71264 | 9117 | -9492 | 8572 | 3902 | -4063 | 0.119 | 0 | 0 | 0
2/28/2026 | 12 | 71624 | 8909 | -9525 | 8789 | 3813 | -4077 | 0.12 | 0 | 0 | 0
2/28/2026 | 13 | 71443 | 9057 | -9585 | 8792 | 3876 | -4102 | 0.121 | 0 | 0 | 0
2/28/2026 | 14 | 72328 | 9436 | -9806 | 9144 | 4038 | -4197 | 0.125 | 0 | 0 | 0
2/28/2026 | 15 | 74832 | 9420 | -9713 | 9866 | 4032 | -4157 | 0.131 | 0 | 0 | 0
2/28/2026 | 16 | 78890 | 9789 | -9960 | 11156 | 4190 | -4263 | 0.141 | 0 | 0 | 0
2/28/2026 | 17 | 81431 | 10940 | -10858 | 13754 | 4683 | -4647 | 0.169 | 139 | 0 | 0
2/28/2026 | 18 | 83971 | 12072 | -11599 | 15021 | 5167 | -4964 | 0.18 | 1090 | 0 | 0
2/28/2026 | 19 | 84057 | 11929 | -11456 | 15619 | 5105 | -4903 | 0.187 | 1090 | 0 | 0
2/28/2026 | 20 | 82064 | 11838 | -11066 | 15981 | 5066 | -4736 | 0.197 | 1104 | 0 | 0
2/28/2026 | 21 | 79624 | 11997 | -10832 | 15008 | 5135 | -4636 | 0.192 | 873 | 0 | 0
2/28/2026 | 22 | 77222 | 11883 | -10708 | 15258 | 5086 | -4583 | 0.201 | 1030 | 0 | 0
2/28/2026 | 23 | 73643 | 12612 | -11233 | 15584 | 5398 | -4807 | 0.216 | 1412 | 61 | 0.043
2/28/2026 | 24 | 70430 | 12601 | -11341 | 15695 | 5393 | -4854 | 0.226 | 1905 | 231 | 0.121