## KEY
Average Emissions Rate Calculation
Background:
The CAISO is publishing this metric of an average emissions rate (AER) based on the discussion in the GHG working groups. CAISO discussed the metric at the November 27, 2023 GHG Coordination Working Group. A brief explanation of the methodology is included below:
Methodology:
1) Which resources are reflected in this example AER metric (all schedules are from the 5-minute market)
- All supply resources are included
- All demand response resources are excluded
- All energy storage resources are included (emissions rate used is 0 MTCO2e/MWh)
- Resources that were attributed to serve California are included
2) The AER measures all schedules ie. The total dispatach of the resources and not relative to WEIM base schedule
3) Bilateral transactions are included (emissions rate used is 0.428 MTCO2e/MWh) unless they are resource specific.
4) CAISO filled in missing heat rate and emissions rate data by using wtd averages from existing data
Key
TRADE_DT | Trade date of the reported data in MM/DD/YYYY format
TRADE_HR | Trade hour of the reported data. Data is reported as the "hour-ending", e.g. TRADE_HR = 2 is for the hour-ending 1:59:59AM Pacific time
GEN_MWH | MWh of electricity generation in the WEIM area* (including CAISO)
IMP_MWH | MWh of electricity imports into the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
EXP_MWH | MWh of electricity exports from the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
GEN_GHG | Greenhouse gas emissions in MTCO2e of electricity generation in the WEIM area
IMP_GHG | Greenhouse gas emissions in MTCO2e of electricity imports into the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
EXP_GHG | Greenhouse gas emissions in MTCO2e of electricity exports from the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
AVG_EM_RATE | Average emissions rate calculated as columns G through I divided by columns C through E
ATTR_MWH | MWh of WEIM transfers into California which, by definition, is equal to the sum of the GHG attributions
ATTR_GHG | Greenhouse gas emissions in MTCO2e of WEIM transfers into California (resource-specific)
ATTR_AVG_EM_RATE | Average emissions rate of WEIM transfers into California
CAISO PUBLIC

## AER_SUMMARY
TRADE_DT | TRADE_HR | GEN_MWH | IMP_MWH | EXP_MWH | GEN_GHG | IMP_GHG | EXP_GHG | AVG_EM_RATE | ATTR_MWH | ATTR_GHG | ATTR_AVG_EM_RATE
1/1/2026 | 1 | 73111 | 13866 | -13038 | 16334 | 5935 | -5580 | 0.226 | 630 | 0 | 0
1/1/2026 | 2 | 71727 | 13797 | -13167 | 15924 | 5905 | -5635 | 0.224 | 649 | 0 | 0
1/1/2026 | 3 | 70440 | 13710 | -13115 | 15402 | 5868 | -5613 | 0.22 | 661 | 0 | 0
1/1/2026 | 4 | 70052 | 13686 | -13202 | 15564 | 5858 | -5650 | 0.224 | 671 | 0 | 0
1/1/2026 | 5 | 70570 | 14090 | -13557 | 15760 | 6030 | -5802 | 0.225 | 722 | 0 | 0
1/1/2026 | 6 | 71788 | 14204 | -13520 | 16064 | 6079 | -5787 | 0.226 | 830 | 0 | 0
1/1/2026 | 7 | 74340 | 14099 | -13594 | 16378 | 6035 | -5818 | 0.222 | 822 | 0 | 0
1/1/2026 | 8 | 75940 | 13737 | -13314 | 16672 | 5879 | -5698 | 0.221 | 633 | 0 | 0
1/1/2026 | 9 | 77541 | 13074 | -12813 | 17253 | 5596 | -5484 | 0.223 | 7 | 0 | 0
1/1/2026 | 10 | 78719 | 12558 | -12441 | 17536 | 5375 | -5324 | 0.223 | 140 | 0 | 0
1/1/2026 | 11 | 78620 | 12870 | -12553 | 17279 | 5509 | -5373 | 0.221 | 0 | 0 | 0
1/1/2026 | 12 | 78530 | 12946 | -12687 | 16972 | 5540 | -5430 | 0.217 | 2 | 0 | 0
1/1/2026 | 13 | 78228 | 12692 | -12426 | 16801 | 5432 | -5318 | 0.215 | 0 | 0 | 0
1/1/2026 | 14 | 78122 | 12805 | -12434 | 16517 | 5481 | -5322 | 0.212 | 0 | 0 | 0
1/1/2026 | 15 | 78289 | 12541 | -12407 | 16292 | 5368 | -5310 | 0.208 | 0 | 0 | 0
1/1/2026 | 16 | 81393 | 12896 | -13219 | 16760 | 5519 | -5658 | 0.205 | 256 | 0 | 0
1/1/2026 | 17 | 84184 | 13894 | -14131 | 17004 | 5947 | -6048 | 0.201 | 730 | 0 | 0
1/1/2026 | 18 | 87056 | 13993 | -14276 | 16841 | 5989 | -6110 | 0.193 | 612 | 0 | 0
1/1/2026 | 19 | 85869 | 14097 | -14443 | 16595 | 6033 | -6182 | 0.192 | 716 | 0 | 0
1/1/2026 | 20 | 83858 | 13728 | -14008 | 16339 | 5876 | -5996 | 0.194 | 914 | 0 | 0
1/1/2026 | 21 | 81961 | 13827 | -14106 | 16109 | 5918 | -6037 | 0.196 | 1035 | 0 | 0
1/1/2026 | 22 | 79411 | 13666 | -13860 | 16141 | 5849 | -5932 | 0.203 | 1086 | 0 | 0
1/1/2026 | 23 | 75973 | 13571 | -13728 | 15812 | 5808 | -5876 | 0.208 | 1044 | 0 | 0
1/1/2026 | 24 | 72444 | 13411 | -13253 | 15265 | 5740 | -5672 | 0.211 | 845 | 0 | 0
1/2/2026 | 1 | 70826 | 13941 | -14025 | 15077 | 5967 | -6003 | 0.213 | 809 | 0 | 0
1/2/2026 | 2 | 68378 | 14198 | -14078 | 14450 | 6077 | -6026 | 0.212 | 823 | 0 | 0
1/2/2026 | 3 | 67258 | 14119 | -13859 | 14086 | 6043 | -5932 | 0.21 | 493 | 0 | 0
1/2/2026 | 4 | 67200 | 14023 | -13761 | 13946 | 6002 | -5890 | 0.208 | 204 | 0 | 0
1/2/2026 | 5 | 68608 | 14247 | -13738 | 13996 | 6098 | -5880 | 0.206 | 104 | 0 | 0
1/2/2026 | 6 | 72173 | 14395 | -13843 | 14212 | 6161 | -5925 | 0.199 | 224 | 0 | 0
1/2/2026 | 7 | 76583 | 13954 | -13795 | 14944 | 5973 | -5904 | 0.196 | 357 | 0 | 0
1/2/2026 | 8 | 78927 | 13726 | -13655 | 15034 | 5874 | -5844 | 0.191 | 57 | 0 | 0
1/2/2026 | 9 | 79192 | 13854 | -14036 | 14169 | 5930 | -6007 | 0.178 | 0 | 0 | 0
1/2/2026 | 10 | 78827 | 13835 | -14321 | 13616 | 5922 | -6130 | 0.171 | 0 | 0 | 0
1/2/2026 | 11 | 77761 | 13696 | -13951 | 13456 | 5862 | -5971 | 0.172 | 0 | 0 | 0
1/2/2026 | 12 | 77866 | 13706 | -14009 | 13638 | 5866 | -5996 | 0.174 | 0 | 0 | 0
1/2/2026 | 13 | 78173 | 13405 | -13829 | 13818 | 5737 | -5919 | 0.175 | 0 | 0 | 0
1/2/2026 | 14 | 79472 | 13763 | -14147 | 14384 | 5891 | -6055 | 0.18 | 545 | 0 | 0
1/2/2026 | 15 | 81061 | 13811 | -14081 | 15042 | 5911 | -6027 | 0.185 | 881 | 10 | 0.011
1/2/2026 | 16 | 84153 | 13516 | -14233 | 16351 | 5785 | -6091 | 0.192 | 878 | 0 | 0
1/2/2026 | 17 | 86317 | 14749 | -15233 | 17170 | 6313 | -6520 | 0.198 | 604 | 0 | 0
1/2/2026 | 18 | 88953 | 14817 | -15181 | 16991 | 6342 | -6498 | 0.19 | 681 | 14 | 0.021
1/2/2026 | 19 | 86940 | 14836 | -15199 | 16649 | 6350 | -6505 | 0.191 | 897 | 25 | 0.028
1/2/2026 | 20 | 84945 | 14952 | -15175 | 16567 | 6400 | -6495 | 0.194 | 1050 | 58 | 0.055
1/2/2026 | 21 | 82946 | 14940 | -15111 | 16497 | 6394 | -6467 | 0.198 | 1000 | 1 | 0.001
1/2/2026 | 22 | 80321 | 15147 | -15413 | 16146 | 6483 | -6596 | 0.2 | 1129 | 3 | 0.003
1/2/2026 | 23 | 76909 | 15678 | -15673 | 15824 | 6710 | -6708 | 0.206 | 1234 | 123 | 0.1
1/2/2026 | 24 | 72717 | 15450 | -14881 | 15251 | 6612 | -6369 | 0.211 | 851 | 35 | 0.041
1/3/2026 | 1 | 70046 | 16125 | -15256 | 14502 | 6902 | -6530 | 0.21 | 832 | 24 | 0.029
1/3/2026 | 2 | 67857 | 16045 | -15066 | 14532 | 6867 | -6448 | 0.217 | 675 | 0 | 0
1/3/2026 | 3 | 66314 | 15800 | -14892 | 14480 | 6763 | -6373 | 0.221 | 669 | 0 | 0
1/3/2026 | 4 | 65678 | 15764 | -14750 | 14630 | 6747 | -6313 | 0.226 | 864 | 0 | 0
1/3/2026 | 5 | 66486 | 15650 | -14701 | 14731 | 6698 | -6292 | 0.224 | 790 | 0 | 0
1/3/2026 | 6 | 68238 | 15695 | -14766 | 14810 | 6717 | -6320 | 0.22 | 1007 | 0 | 0
1/3/2026 | 7 | 71466 | 14675 | -14234 | 14713 | 6281 | -6092 | 0.207 | 976 | 0 | 0
1/3/2026 | 8 | 73416 | 14662 | -14060 | 14470 | 6275 | -6018 | 0.199 | 746 | 3 | 0.004
1/3/2026 | 9 | 74742 | 14626 | -14362 | 14368 | 6260 | -6147 | 0.193 | 661 | 0 | 0
1/3/2026 | 10 | 74982 | 14014 | -13936 | 14667 | 5998 | -5964 | 0.196 | 689 | 0 | 0
1/3/2026 | 11 | 75032 | 13719 | -13373 | 14444 | 5872 | -5723 | 0.194 | 755 | 1 | 0.001
1/3/2026 | 12 | 74184 | 13793 | -13300 | 14384 | 5903 | -5692 | 0.195 | 756 | 0 | 0
1/3/2026 | 13 | 74105 | 14214 | -13771 | 14459 | 6083 | -5894 | 0.196 | 871 | 0 | 0
1/3/2026 | 14 | 74926 | 14502 | -14082 | 14765 | 6207 | -6027 | 0.198 | 309 | 0 | 0
1/3/2026 | 15 | 76013 | 14008 | -13490 | 15302 | 5996 | -5774 | 0.203 | 0 | 0 | 0
1/3/2026 | 16 | 78180 | 14191 | -13622 | 15980 | 6074 | -5830 | 0.206 | 488 | 0 | 0
1/3/2026 | 17 | 80912 | 14932 | -13836 | 16496 | 6391 | -5922 | 0.207 | 793 | 0 | 0
1/3/2026 | 18 | 83652 | 15501 | -14176 | 16590 | 6635 | -6067 | 0.202 | 801 | 0 | 0
1/3/2026 | 19 | 81947 | 15775 | -14280 | 16344 | 6751 | -6112 | 0.204 | 962 | 0 | 0
1/3/2026 | 20 | 80863 | 15750 | -14191 | 16356 | 6741 | -6073 | 0.207 | 1027 | 0 | 0
1/3/2026 | 21 | 79524 | 15426 | -14020 | 16364 | 6602 | -6000 | 0.21 | 1301 | 0 | 0
1/3/2026 | 22 | 77385 | 15258 | -13867 | 15645 | 6530 | -5935 | 0.206 | 1354 | 0 | 0
1/3/2026 | 23 | 73537 | 16610 | -14580 | 14740 | 7109 | -6240 | 0.207 | 1105 | 0 | 0
1/3/2026 | 24 | 70054 | 16755 | -14694 | 14324 | 7171 | -6289 | 0.211 | 983 | 0 | 0
1/4/2026 | 1 | 67803 | 16308 | -14416 | 13956 | 6980 | -6170 | 0.212 | 901 | 0 | 0
1/4/2026 | 2 | 65842 | 16125 | -14322 | 13651 | 6901 | -6130 | 0.213 | 882 | 0 | 0
1/4/2026 | 3 | 64345 | 16262 | -14540 | 13088 | 6960 | -6223 | 0.209 | 758 | 0 | 0
1/4/2026 | 4 | 63913 | 16214 | -14469 | 13188 | 6940 | -6193 | 0.212 | 835 | 0 | 0
1/4/2026 | 5 | 64321 | 16051 | -14281 | 13313 | 6870 | -6113 | 0.213 | 780 | 0 | 0
1/4/2026 | 6 | 66267 | 15829 | -14186 | 13508 | 6775 | -6072 | 0.209 | 817 | 0 | 0
1/4/2026 | 7 | 69204 | 15786 | -14383 | 13902 | 6756 | -6156 | 0.205 | 948 | 0 | 0
1/4/2026 | 8 | 71631 | 15722 | -14711 | 13258 | 6729 | -6296 | 0.188 | 1073 | 0 | 0
1/4/2026 | 9 | 73585 | 15567 | -15196 | 12659 | 6663 | -6504 | 0.173 | 964 | 1 | 0.001
1/4/2026 | 10 | 74425 | 15752 | -15768 | 12671 | 6742 | -6749 | 0.17 | 660 | 0 | 0
1/4/2026 | 11 | 74589 | 15157 | -15172 | 12462 | 6487 | -6493 | 0.167 | 172 | 0 | 0
1/4/2026 | 12 | 75102 | 14537 | -14483 | 12306 | 6222 | -6199 | 0.164 | 58 | 0 | 0
1/4/2026 | 13 | 76394 | 14410 | -14506 | 12306 | 6168 | -6209 | 0.161 | 0 | 0 | 0
1/4/2026 | 14 | 77841 | 14061 | -14292 | 12505 | 6018 | -6117 | 0.16 | 235 | 0 | 0
1/4/2026 | 15 | 78890 | 13857 | -14108 | 13018 | 5930 | -6038 | 0.164 | 408 | 0 | 0
1/4/2026 | 16 | 81339 | 14481 | -14800 | 14354 | 6198 | -6334 | 0.175 | 484 | 0 | 0
1/4/2026 | 17 | 83879 | 16167 | -15977 | 15168 | 6919 | -6838 | 0.181 | 470 | 0 | 0
1/4/2026 | 18 | 87822 | 16322 | -15960 | 15735 | 6986 | -6831 | 0.18 | 333 | 0 | 0
1/4/2026 | 19 | 86788 | 16494 | -15893 | 15634 | 7060 | -6802 | 0.182 | 380 | 0 | 0
1/4/2026 | 20 | 85403 | 16620 | -15711 | 15656 | 7114 | -6724 | 0.186 | 737 | 0 | 0
1/4/2026 | 21 | 83349 | 16474 | -15809 | 15525 | 7050 | -6767 | 0.188 | 980 | 22 | 0.022
1/4/2026 | 22 | 80474 | 12972 | -12365 | 15442 | 5552 | -5292 | 0.194 | 1088 | 27 | 0.025
1/4/2026 | 23 | 75774 | 13499 | -12406 | 14898 | 5777 | -5310 | 0.2 | 1209 | 97 | 0.08
1/4/2026 | 24 | 71954 | 13383 | -12328 | 14716 | 5728 | -5276 | 0.208 | 1099 | 115 | 0.105
1/5/2026 | 1 | 69597 | 16354 | -15220 | 14286 | 7000 | -6514 | 0.209 | 1034 | 0 | 0
1/5/2026 | 2 | 68027 | 16546 | -15433 | 13867 | 7082 | -6605 | 0.207 | 582 | 0 | 0
1/5/2026 | 3 | 67009 | 16669 | -15568 | 13862 | 7134 | -6663 | 0.21 | 510 | 0 | 0
1/5/2026 | 4 | 67726 | 16707 | -15885 | 14028 | 7151 | -6799 | 0.21 | 519 | 0 | 0
1/5/2026 | 5 | 70312 | 16588 | -15906 | 14119 | 7099 | -6808 | 0.203 | 24 | 0 | 0
1/5/2026 | 6 | 75998 | 16571 | -16198 | 14552 | 7092 | -6933 | 0.193 | 408 | 0 | 0
1/5/2026 | 7 | 82685 | 15326 | -15401 | 15071 | 6560 | -6591 | 0.182 | 180 | 0 | 0
1/5/2026 | 8 | 85946 | 14853 | -15116 | 15055 | 6357 | -6470 | 0.174 | 508 | 0 | 0
1/5/2026 | 9 | 84986 | 13920 | -14227 | 13678 | 5958 | -6089 | 0.16 | 230 | 0 | 0
1/5/2026 | 10 | 82400 | 14482 | -14517 | 12791 | 6198 | -6213 | 0.155 | 0 | 0 | 0
1/5/2026 | 11 | 80772 | 14604 | -14628 | 12405 | 6250 | -6261 | 0.153 | 0 | 0 | 0
1/5/2026 | 12 | 79507 | 14895 | -14696 | 12297 | 6375 | -6290 | 0.155 | 0 | 0 | 0
1/5/2026 | 13 | 79592 | 14898 | -14744 | 12365 | 6376 | -6310 | 0.156 | 0 | 0 | 0
1/5/2026 | 14 | 80259 | 15059 | -15023 | 12347 | 6445 | -6430 | 0.154 | 0 | 0 | 0
1/5/2026 | 15 | 80866 | 14845 | -14914 | 12835 | 6354 | -6384 | 0.158 | 0 | 0 | 0
1/5/2026 | 16 | 83614 | 15666 | -15872 | 14896 | 6705 | -6793 | 0.178 | 570 | 0 | 0
1/5/2026 | 17 | 88258 | 17306 | -17348 | 16816 | 7407 | -7425 | 0.19 | 853 | 0 | 0
1/5/2026 | 18 | 92128 | 17119 | -16900 | 17507 | 7327 | -7233 | 0.191 | 985 | 7 | 0.007
1/5/2026 | 19 | 91554 | 17345 | -17040 | 17151 | 7424 | -7293 | 0.188 | 1168 | 0 | 0
1/5/2026 | 20 | 89820 | 16757 | -16204 | 16947 | 7172 | -6935 | 0.19 | 1193 | 29 | 0.024
1/5/2026 | 21 | 87023 | 16685 | -15790 | 16353 | 7141 | -6758 | 0.19 | 1114 | 2 | 0.002
1/5/2026 | 22 | 83531 | 16715 | -15608 | 15885 | 7154 | -6680 | 0.193 | 1365 | 18 | 0.013
1/5/2026 | 23 | 78621 | 17217 | -15650 | 15124 | 7369 | -6698 | 0.197 | 1235 | 1 | 0.001
1/5/2026 | 24 | 74068 | 17382 | -15569 | 14287 | 7439 | -6663 | 0.199 | 898 | 4 | 0.004
1/6/2026 | 1 | 71238 | 17490 | -15290 | 13904 | 7486 | -6544 | 0.202 | 1211 | 80 | 0.066
1/6/2026 | 2 | 69316 | 17569 | -15248 | 13669 | 7519 | -6526 | 0.205 | 1359 | 136 | 0.1
1/6/2026 | 3 | 68199 | 17691 | -15340 | 13623 | 7572 | -6566 | 0.207 | 1312 | 106 | 0.081
1/6/2026 | 4 | 68814 | 17477 | -15331 | 13731 | 7480 | -6561 | 0.206 | 1302 | 84 | 0.065
1/6/2026 | 5 | 71256 | 17408 | -15339 | 14087 | 7451 | -6565 | 0.204 | 922 | 0 | 0
1/6/2026 | 6 | 76500 | 17369 | -15197 | 14686 | 7434 | -6504 | 0.198 | 697 | 5 | 0.007
1/6/2026 | 7 | 83510 | 16094 | -14505 | 15552 | 6888 | -6208 | 0.191 | 794 | 0 | 0
1/6/2026 | 8 | 86916 | 16265 | -14701 | 15375 | 6962 | -6292 | 0.181 | 1027 | 126 | 0.123
1/6/2026 | 9 | 85256 | 16444 | -14812 | 14037 | 7038 | -6339 | 0.17 | 984 | 86 | 0.087
1/6/2026 | 10 | 82715 | 16021 | -14504 | 13323 | 6857 | -6208 | 0.166 | 761 | 0 | 0
1/6/2026 | 11 | 80955 | 15709 | -14545 | 13265 | 6724 | -6226 | 0.168 | 392 | 0 | 0
1/6/2026 | 12 | 79691 | 16144 | -14727 | 13304 | 6910 | -6303 | 0.172 | 368 | 0 | 0
1/6/2026 | 13 | 79655 | 16219 | -14928 | 13595 | 6942 | -6389 | 0.175 | 386 | 0 | 0
1/6/2026 | 14 | 79423 | 16193 | -14767 | 13356 | 6930 | -6320 | 0.173 | 216 | 0 | 0
1/6/2026 | 15 | 80207 | 15788 | -14538 | 13465 | 6757 | -6222 | 0.172 | 0 | 0 | 0
1/6/2026 | 16 | 83056 | 16531 | -15254 | 14603 | 7075 | -6529 | 0.18 | 1 | 0 | 0
1/6/2026 | 17 | 86796 | 17299 | -15495 | 15756 | 7404 | -6632 | 0.187 | 590 | 0 | 0
1/6/2026 | 18 | 90613 | 17823 | -15980 | 15658 | 7628 | -6840 | 0.178 | 574 | 0 | 0
1/6/2026 | 19 | 89500 | 18326 | -16223 | 15501 | 7844 | -6944 | 0.179 | 550 | 12 | 0.022
1/6/2026 | 20 | 88261 | 18415 | -16453 | 15305 | 7881 | -7042 | 0.179 | 702 | 10 | 0.014
1/6/2026 | 21 | 86003 | 18284 | -16341 | 15042 | 7826 | -6994 | 0.18 | 965 | 4 | 0.004
1/6/2026 | 22 | 82748 | 18294 | -16235 | 14812 | 7830 | -6949 | 0.185 | 997 | 6 | 0.006
1/6/2026 | 23 | 78308 | 18225 | -16224 | 14262 | 7800 | -6944 | 0.188 | 1176 | 63 | 0.054
1/6/2026 | 24 | 74248 | 18122 | -16180 | 13695 | 7756 | -6925 | 0.191 | 1242 | 42 | 0.034
1/7/2026 | 1 | 71479 | 18915 | -16727 | 13349 | 8096 | -7160 | 0.194 | 1250 | 112 | 0.09
1/7/2026 | 2 | 69664 | 18796 | -16707 | 12913 | 8045 | -7151 | 0.192 | 1216 | 165 | 0.136
1/7/2026 | 3 | 69108 | 18638 | -16855 | 12717 | 7977 | -7214 | 0.19 | 1098 | 140 | 0.128
1/7/2026 | 4 | 69490 | 18505 | -16798 | 12765 | 7920 | -7189 | 0.19 | 940 | 56 | 0.06
1/7/2026 | 5 | 72147 | 17808 | -16283 | 13203 | 7622 | -6969 | 0.188 | 1492 | 171 | 0.115
1/7/2026 | 6 | 77541 | 17406 | -16210 | 14196 | 7450 | -6938 | 0.187 | 1092 | 19 | 0.017
1/7/2026 | 7 | 83382 | 15465 | -14024 | 14662 | 6619 | -6003 | 0.18 | 1099 | 0 | 0
1/7/2026 | 8 | 87335 | 14585 | -13046 | 14862 | 6242 | -5584 | 0.175 | 1051 | 35 | 0.033
1/7/2026 | 9 | 86440 | 14474 | -13020 | 13652 | 6194 | -5573 | 0.162 | 572 | 0 | 0
1/7/2026 | 10 | 84339 | 13669 | -12410 | 13071 | 5850 | -5311 | 0.159 | 620 | 8 | 0.013
1/7/2026 | 11 | 81604 | 13772 | -12344 | 13230 | 5894 | -5283 | 0.167 | 2 | 0 | 0
1/7/2026 | 12 | 80124 | 13502 | -12173 | 12957 | 5779 | -5210 | 0.166 | 5 | 0 | 0
1/7/2026 | 13 | 79488 | 13975 | -12727 | 12700 | 5981 | -5447 | 0.164 | 0 | 0 | 0
1/7/2026 | 14 | 79708 | 13900 | -12674 | 12658 | 5949 | -5424 | 0.163 | 151 | 0 | 0
1/7/2026 | 15 | 80880 | 14142 | -13024 | 12939 | 6053 | -5574 | 0.164 | 0 | 0 | 0
1/7/2026 | 16 | 83519 | 14232 | -13172 | 14017 | 6091 | -5638 | 0.171 | 343 | 0 | 0
1/7/2026 | 17 | 88067 | 15732 | -14544 | 15347 | 6733 | -6225 | 0.178 | 794 | 0 | 0
1/7/2026 | 18 | 91955 | 16257 | -14890 | 15879 | 6958 | -6373 | 0.176 | 838 | 0 | 0
1/7/2026 | 19 | 91268 | 15853 | -14551 | 15939 | 6785 | -6228 | 0.178 | 432 | 0 | 0
1/7/2026 | 20 | 89365 | 16251 | -14556 | 16128 | 6955 | -6230 | 0.185 | 545 | 0 | 0
1/7/2026 | 21 | 87044 | 16367 | -14313 | 16026 | 7005 | -6126 | 0.19 | 233 | 0 | 0
1/7/2026 | 22 | 83877 | 16332 | -14629 | 15869 | 6990 | -6261 | 0.194 | 844 | 0 | 0
1/7/2026 | 23 | 79549 | 16816 | -14785 | 15341 | 7197 | -6328 | 0.199 | 700 | 0 | 0
1/7/2026 | 24 | 75638 | 16827 | -14844 | 14582 | 7202 | -6353 | 0.199 | 464 | 0 | 0
1/8/2026 | 1 | 73282 | 16020 | -13985 | 14026 | 6857 | -5986 | 0.198 | 118 | 0 | 0
1/8/2026 | 2 | 71595 | 16155 | -14197 | 13843 | 6914 | -6076 | 0.2 | 766 | 0 | 0
1/8/2026 | 3 | 70717 | 16889 | -14946 | 13738 | 7229 | -6397 | 0.201 | 797 | 0 | 0
1/8/2026 | 4 | 71203 | 16830 | -15084 | 13729 | 7203 | -6456 | 0.198 | 477 | 0 | 0
1/8/2026 | 5 | 73937 | 16287 | -14597 | 13852 | 6971 | -6247 | 0.193 | 400 | 0 | 0
1/8/2026 | 6 | 79746 | 16601 | -15008 | 14311 | 7105 | -6423 | 0.184 | 91 | 0 | 0
1/8/2026 | 7 | 86833 | 14917 | -13944 | 15811 | 6384 | -5968 | 0.185 | 70 | 0 | 0
1/8/2026 | 8 | 90601 | 15435 | -14706 | 15986 | 6606 | -6294 | 0.178 | 284 | 0 | 0
1/8/2026 | 9 | 89388 | 14288 | -13753 | 14120 | 6115 | -5886 | 0.16 | 0 | 0 | 0
1/8/2026 | 10 | 85218 | 13115 | -12498 | 12593 | 5614 | -5349 | 0.15 | 0 | 0 | 0
1/8/2026 | 11 | 82267 | 11916 | -11285 | 12455 | 5100 | -4830 | 0.154 | 0 | 0 | 0
1/8/2026 | 12 | 79701 | 11538 | -10789 | 12224 | 4939 | -4618 | 0.156 | 0 | 0 | 0
1/8/2026 | 13 | 79023 | 11909 | -11140 | 12370 | 5097 | -4768 | 0.159 | 0 | 0 | 0
1/8/2026 | 14 | 78870 | 12046 | -11229 | 12234 | 5156 | -4806 | 0.158 | 0 | 0 | 0
1/8/2026 | 15 | 80066 | 12380 | -11722 | 12065 | 5298 | -5017 | 0.153 | 0 | 0 | 0
1/8/2026 | 16 | 83437 | 13656 | -13012 | 13738 | 5845 | -5570 | 0.167 | 0 | 0 | 0
1/8/2026 | 17 | 88692 | 16202 | -15182 | 16222 | 6934 | -6498 | 0.186 | 856 | 0 | 0
1/8/2026 | 18 | 93430 | 15597 | -14723 | 17131 | 6676 | -6301 | 0.186 | 874 | 16 | 0.018
1/8/2026 | 19 | 93416 | 15351 | -14708 | 17012 | 6570 | -6295 | 0.184 | 1264 | 130 | 0.103
1/8/2026 | 20 | 92247 | 16091 | -15372 | 16954 | 6887 | -6579 | 0.186 | 1978 | 305 | 0.154
1/8/2026 | 21 | 89625 | 14969 | -13813 | 16414 | 6407 | -5912 | 0.186 | 1840 | 243 | 0.132
1/8/2026 | 22 | 86668 | 15146 | -14111 | 16047 | 6482 | -6039 | 0.188 | 1610 | 186 | 0.116
1/8/2026 | 23 | 81862 | 16407 | -15112 | 15501 | 7022 | -6468 | 0.193 | 1453 | 138 | 0.095
1/8/2026 | 24 | 77981 | 16400 | -14968 | 15249 | 7019 | -6407 | 0.2 | 1080 | 73 | 0.068
1/9/2026 | 1 | 76103 | 16476 | -15501 | 15563 | 7052 | -6634 | 0.207 | 929 | 33 | 0.036
1/9/2026 | 2 | 73899 | 16734 | -15616 | 15507 | 7162 | -6683 | 0.213 | 942 | 22 | 0.023
1/9/2026 | 3 | 72760 | 16811 | -15412 | 15524 | 7195 | -6596 | 0.217 | 840 | 0 | 0
1/9/2026 | 4 | 73243 | 16896 | -15615 | 15861 | 7231 | -6683 | 0.22 | 653 | 0 | 0
1/9/2026 | 5 | 76288 | 16944 | -16044 | 16349 | 7252 | -6867 | 0.217 | 642 | 0 | 0
1/9/2026 | 6 | 81718 | 16798 | -16027 | 17159 | 7189 | -6859 | 0.212 | 244 | 0 | 0
1/9/2026 | 7 | 88367 | 14576 | -14119 | 17963 | 6239 | -6043 | 0.204 | 715 | 0 | 0
1/9/2026 | 8 | 91869 | 14399 | -13967 | 17737 | 6163 | -5978 | 0.194 | 592 | 6 | 0.01
1/9/2026 | 9 | 90092 | 12972 | -12905 | 14434 | 5552 | -5523 | 0.16 | 414 | 0 | 0
1/9/2026 | 10 | 85979 | 12338 | -12206 | 12468 | 5281 | -5224 | 0.145 | 0 | 0 | 0
1/9/2026 | 11 | 81707 | 12165 | -11907 | 11509 | 5207 | -5096 | 0.142 | 0 | 0 | 0
1/9/2026 | 12 | 78381 | 11584 | -11097 | 11281 | 4958 | -4750 | 0.146 | 0 | 0 | 0
1/9/2026 | 13 | 76653 | 11488 | -10967 | 11022 | 4917 | -4694 | 0.146 | 0 | 0 | 0
1/9/2026 | 14 | 75853 | 11602 | -10888 | 10928 | 4966 | -4660 | 0.147 | 0 | 0 | 0
1/9/2026 | 15 | 76977 | 11416 | -10487 | 11351 | 4886 | -4488 | 0.151 | 0 | 0 | 0
1/9/2026 | 16 | 80212 | 12259 | -11426 | 12922 | 5247 | -4890 | 0.164 | 0 | 0 | 0
1/9/2026 | 17 | 85346 | 15371 | -13790 | 16189 | 6579 | -5902 | 0.194 | 752 | 0 | 0
1/9/2026 | 18 | 89035 | 15408 | -13542 | 17281 | 6595 | -5796 | 0.199 | 1027 | 0 | 0
1/9/2026 | 19 | 88386 | 15274 | -13326 | 16651 | 6537 | -5703 | 0.194 | 753 | 16 | 0.021
1/9/2026 | 20 | 87110 | 15633 | -13342 | 16745 | 6691 | -5710 | 0.198 | 1083 | 0 | 0
1/9/2026 | 21 | 85785 | 15402 | -13107 | 15944 | 6592 | -5610 | 0.192 | 1096 | 0 | 0
1/9/2026 | 22 | 83605 | 15566 | -13056 | 15623 | 6662 | -5588 | 0.194 | 1114 | 0 | 0
1/9/2026 | 23 | 80126 | 17404 | -14275 | 15399 | 7449 | -6109 | 0.201 | 658 | 0 | 0
1/9/2026 | 24 | 76486 | 17621 | -14397 | 15215 | 7542 | -6162 | 0.208 | 664 | 0 | 0
1/10/2026 | 1 | 74511 | 17511 | -14305 | 15691 | 7495 | -6122 | 0.22 | 895 | 0 | 0
1/10/2026 | 2 | 72918 | 17492 | -14231 | 15623 | 7487 | -6091 | 0.223 | 835 | 0 | 0
1/10/2026 | 3 | 71763 | 17564 | -14317 | 15706 | 7518 | -6128 | 0.228 | 696 | 0 | 0
1/10/2026 | 4 | 71589 | 17515 | -14214 | 15758 | 7496 | -6084 | 0.229 | 717 | 0 | 0
1/10/2026 | 5 | 72815 | 17526 | -14278 | 15976 | 7501 | -6111 | 0.228 | 634 | 0 | 0
1/10/2026 | 6 | 75359 | 17604 | -14470 | 16442 | 7535 | -6193 | 0.227 | 348 | 0 | 0
1/10/2026 | 7 | 79327 | 15071 | -12449 | 16523 | 6450 | -5328 | 0.215 | 877 | 11 | 0.013
1/10/2026 | 8 | 81608 | 14403 | -12126 | 16063 | 6164 | -5190 | 0.203 | 943 | 38 | 0.04
1/10/2026 | 9 | 81160 | 11900 | -10193 | 12319 | 5093 | -4363 | 0.157 | 221 | 0 | 0
1/10/2026 | 10 | 79196 | 10982 | -9422 | 12298 | 4700 | -4033 | 0.161 | 0 | 0 | 0
1/10/2026 | 11 | 75893 | 10751 | -9154 | 10977 | 4601 | -3918 | 0.15 | 0 | 0 | 0
1/10/2026 | 12 | 73813 | 10600 | -9082 | 10920 | 4537 | -3887 | 0.154 | 0 | 0 | 0
1/10/2026 | 13 | 72153 | 10518 | -9035 | 10943 | 4501 | -3867 | 0.157 | 0 | 0 | 0
1/10/2026 | 14 | 71736 | 10333 | -8778 | 10961 | 4422 | -3757 | 0.159 | 0 | 0 | 0
1/10/2026 | 15 | 73258 | 10467 | -8881 | 11133 | 4480 | -3801 | 0.158 | 0 | 0 | 0
1/10/2026 | 16 | 76356 | 10905 | -9135 | 12755 | 4667 | -3910 | 0.173 | 2 | 0 | 0
1/10/2026 | 17 | 81112 | 15241 | -12731 | 15440 | 6523 | -5449 | 0.197 | 655 | 0 | 0
1/10/2026 | 18 | 85397 | 15541 | -13054 | 15683 | 6652 | -5587 | 0.191 | 903 | 5 | 0.006
1/10/2026 | 19 | 85066 | 15167 | -12957 | 15580 | 6491 | -5546 | 0.189 | 1033 | 7 | 0.007
1/10/2026 | 20 | 84034 | 15222 | -12955 | 15888 | 6515 | -5545 | 0.195 | 1071 | 0 | 0
1/10/2026 | 21 | 82868 | 14572 | -12298 | 15732 | 6237 | -5264 | 0.196 | 1240 | 0 | 0
1/10/2026 | 22 | 80486 | 15720 | -13011 | 15677 | 6728 | -5569 | 0.202 | 1164 | 0 | 0
1/10/2026 | 23 | 77245 | 17650 | -14702 | 15698 | 7554 | -6292 | 0.211 | 937 | 0 | 0
1/10/2026 | 24 | 74041 | 17232 | -14349 | 15565 | 7375 | -6142 | 0.218 | 609 | 0 | 0
1/11/2026 | 1 | 72063 | 16989 | -14141 | 15088 | 7271 | -6052 | 0.218 | 879 | 0 | 0
1/11/2026 | 2 | 70458 | 17219 | -14501 | 14707 | 7370 | -6206 | 0.217 | 1145 | 0 | 0
1/11/2026 | 3 | 69163 | 17512 | -14644 | 14223 | 7495 | -6268 | 0.214 | 1154 | 0 | 0
1/11/2026 | 4 | 69178 | 17309 | -14391 | 14114 | 7408 | -6160 | 0.213 | 1131 | 0 | 0
1/11/2026 | 5 | 70088 | 17348 | -14331 | 14334 | 7425 | -6134 | 0.214 | 992 | 0 | 0
1/11/2026 | 6 | 71984 | 17256 | -14287 | 14504 | 7386 | -6115 | 0.21 | 530 | 0 | 0
1/11/2026 | 7 | 75220 | 17504 | -14595 | 15018 | 7491 | -6247 | 0.208 | 568 | 0 | 0
1/11/2026 | 8 | 77591 | 16821 | -14153 | 14202 | 7200 | -6058 | 0.191 | 665 | 0 | 0
1/11/2026 | 9 | 76349 | 14268 | -12097 | 11018 | 6106 | -5178 | 0.152 | 0 | 0 | 0
1/11/2026 | 10 | 74209 | 12526 | -10631 | 10060 | 5361 | -4550 | 0.143 | 0 | 0 | 0
1/11/2026 | 11 | 71864 | 12387 | -10723 | 10035 | 5302 | -4589 | 0.146 | 0 | 0 | 0
1/11/2026 | 12 | 70606 | 11996 | -10643 | 10114 | 5134 | -4556 | 0.149 | 0 | 0 | 0
1/11/2026 | 13 | 69616 | 12179 | -10726 | 9944 | 5212 | -4591 | 0.149 | 0 | 0 | 0
1/11/2026 | 14 | 69521 | 12345 | -10765 | 9930 | 5284 | -4608 | 0.149 | 0 | 0 | 0
1/11/2026 | 15 | 71800 | 12059 | -10651 | 10288 | 5161 | -4559 | 0.149 | 0 | 0 | 0
1/11/2026 | 16 | 75660 | 12525 | -10939 | 11522 | 5361 | -4682 | 0.158 | 0 | 0 | 0
1/11/2026 | 17 | 80385 | 16090 | -13856 | 14494 | 6887 | -5930 | 0.187 | 594 | 0 | 0
1/11/2026 | 18 | 85465 | 16288 | -13971 | 15618 | 6971 | -5979 | 0.189 | 1072 | 0 | 0
1/11/2026 | 19 | 85500 | 16417 | -14084 | 15761 | 7026 | -6028 | 0.191 | 1056 | 0 | 0
1/11/2026 | 20 | 84756 | 16500 | -14220 | 16090 | 7062 | -6086 | 0.196 | 1190 | 17 | 0.014
1/11/2026 | 21 | 82391 | 16720 | -14066 | 15742 | 7156 | -6020 | 0.198 | 1085 | 0 | 0
1/11/2026 | 22 | 79535 | 17154 | -14432 | 15218 | 7342 | -6177 | 0.199 | 1125 | 14 | 0.012
1/11/2026 | 23 | 74833 | 17778 | -14438 | 14635 | 7609 | -6179 | 0.206 | 1028 | 34 | 0.033
1/11/2026 | 24 | 70827 | 17674 | -14260 | 14310 | 7565 | -6103 | 0.212 | 896 | 0 | 0
1/12/2026 | 1 | 68702 | 17788 | -14485 | 14046 | 7613 | -6200 | 0.215 | 832 | 0 | 0
1/12/2026 | 2 | 67378 | 17590 | -14392 | 14037 | 7529 | -6160 | 0.218 | 813 | 13 | 0.016
1/12/2026 | 3 | 66758 | 17687 | -14528 | 14032 | 7570 | -6218 | 0.22 | 795 | 2 | 0.003
1/12/2026 | 4 | 67850 | 17667 | -14729 | 14248 | 7562 | -6304 | 0.219 | 583 | 0 | 0
1/12/2026 | 5 | 70639 | 17700 | -14606 | 14528 | 7575 | -6252 | 0.215 | 111 | 0 | 0
1/12/2026 | 6 | 76494 | 17479 | -14397 | 15072 | 7481 | -6162 | 0.206 | 406 | 0 | 0
1/12/2026 | 7 | 83859 | 16604 | -14059 | 15787 | 7106 | -6017 | 0.195 | 675 | 0 | 0
1/12/2026 | 8 | 87097 | 16633 | -14376 | 15546 | 7119 | -6153 | 0.185 | 634 | 4 | 0.006
1/12/2026 | 9 | 85593 | 13666 | -12219 | 13097 | 5849 | -5230 | 0.158 | 455 | 0 | 0
1/12/2026 | 10 | 81774 | 13746 | -12137 | 11584 | 5883 | -5194 | 0.147 | 0 | 0 | 0
1/12/2026 | 11 | 78208 | 13519 | -11831 | 11191 | 5786 | -5064 | 0.149 | 0 | 0 | 0
1/12/2026 | 12 | 74944 | 13872 | -11882 | 11183 | 5937 | -5086 | 0.156 | 0 | 0 | 0
1/12/2026 | 13 | 73235 | 14233 | -11972 | 10902 | 6092 | -5124 | 0.157 | 0 | 0 | 0
1/12/2026 | 14 | 73171 | 14443 | -12142 | 10748 | 6181 | -5196 | 0.155 | 0 | 0 | 0
1/12/2026 | 15 | 74588 | 14072 | -12207 | 10987 | 6023 | -5224 | 0.154 | 0 | 0 | 0
1/12/2026 | 16 | 77698 | 14025 | -12296 | 12388 | 6002 | -5263 | 0.165 | 37 | 0 | 0
1/12/2026 | 17 | 82512 | 15810 | -13610 | 14900 | 6767 | -5825 | 0.187 | 1199 | 4 | 0.003
1/12/2026 | 18 | 87219 | 16189 | -13818 | 15529 | 6929 | -5914 | 0.185 | 1041 | 0 | 0
1/12/2026 | 19 | 86712 | 16354 | -13646 | 15474 | 6999 | -5840 | 0.186 | 1264 | 88 | 0.07
1/12/2026 | 20 | 84860 | 16316 | -13119 | 15280 | 6983 | -5615 | 0.189 | 1193 | 76 | 0.064
1/12/2026 | 21 | 82951 | 16385 | -13246 | 14956 | 7013 | -5669 | 0.189 | 1175 | 8 | 0.007
1/12/2026 | 22 | 79263 | 17458 | -14122 | 14758 | 7472 | -6044 | 0.196 | 834 | 0 | 0
1/12/2026 | 23 | 74617 | 18191 | -14640 | 14508 | 7786 | -6266 | 0.205 | 978 | 61 | 0.062
1/12/2026 | 24 | 70860 | 18501 | -14780 | 14254 | 7918 | -6326 | 0.212 | 810 | 17 | 0.021
1/13/2026 | 1 | 68480 | 18853 | -15125 | 14265 | 8069 | -6473 | 0.22 | 1395 | 269 | 0.193
1/13/2026 | 2 | 67019 | 19130 | -15272 | 14260 | 8188 | -6536 | 0.225 | 1220 | 162 | 0.133
1/13/2026 | 3 | 66264 | 19505 | -15547 | 14131 | 8348 | -6654 | 0.225 | 941 | 6 | 0.006
1/13/2026 | 4 | 66976 | 19139 | -15341 | 14304 | 8192 | -6566 | 0.225 | 1036 | 1 | 0.001
1/13/2026 | 5 | 69941 | 18702 | -15087 | 14388 | 8004 | -6457 | 0.217 | 964 | 0 | 0
1/13/2026 | 6 | 75341 | 18626 | -14905 | 15194 | 7972 | -6379 | 0.212 | 742 | 0 | 0
1/13/2026 | 7 | 82796 | 15755 | -12990 | 16441 | 6743 | -5560 | 0.206 | 741 | 0 | 0
1/13/2026 | 8 | 86153 | 15178 | -12988 | 16126 | 6496 | -5559 | 0.193 | 711 | 5 | 0.007
1/13/2026 | 9 | 83851 | 12844 | -11384 | 13606 | 5497 | -4872 | 0.167 | 262 | 0 | 0
1/13/2026 | 10 | 80485 | 12534 | -11317 | 11959 | 5364 | -4844 | 0.153 | 0 | 0 | 0
1/13/2026 | 11 | 76288 | 12488 | -11406 | 11375 | 5345 | -4882 | 0.153 | 0 | 0 | 0
1/13/2026 | 12 | 73617 | 12543 | -11523 | 11322 | 5368 | -4932 | 0.158 | 0 | 0 | 0
1/13/2026 | 13 | 72554 | 12609 | -11498 | 11278 | 5396 | -4921 | 0.16 | 0 | 0 | 0
1/13/2026 | 14 | 72366 | 12582 | -11561 | 11339 | 5385 | -4948 | 0.16 | 0 | 0 | 0
1/13/2026 | 15 | 73952 | 12281 | -11439 | 11656 | 5256 | -4896 | 0.161 | 0 | 0 | 0
1/13/2026 | 16 | 76695 | 12123 | -11090 | 13162 | 5189 | -4746 | 0.175 | 0 | 0 | 0
1/13/2026 | 17 | 80965 | 14572 | -13011 | 16108 | 6237 | -5569 | 0.203 | 825 | 0 | 0
1/13/2026 | 18 | 85778 | 14985 | -13301 | 16515 | 6414 | -5692 | 0.197 | 734 | 0 | 0
1/13/2026 | 19 | 85687 | 15230 | -13360 | 16432 | 6519 | -5718 | 0.197 | 596 | 0 | 0
1/13/2026 | 20 | 84527 | 15777 | -13810 | 16438 | 6753 | -5911 | 0.2 | 386 | 0 | 0
1/13/2026 | 21 | 82646 | 15288 | -13330 | 16288 | 6543 | -5705 | 0.202 | 463 | 0 | 0
1/13/2026 | 22 | 79494 | 15420 | -13375 | 16022 | 6600 | -5725 | 0.207 | 794 | 0 | 0
1/13/2026 | 23 | 75272 | 17548 | -15047 | 15676 | 7511 | -6440 | 0.215 | 626 | 0 | 0
1/13/2026 | 24 | 71187 | 18035 | -15183 | 15226 | 7719 | -6498 | 0.222 | 194 | 0 | 0
1/14/2026 | 1 | 68647 | 18235 | -15079 | 15025 | 7805 | -6454 | 0.228 | 806 | 0 | 0
1/14/2026 | 2 | 67319 | 18463 | -15198 | 14899 | 7902 | -6505 | 0.231 | 861 | 0 | 0
1/14/2026 | 3 | 66506 | 18611 | -15299 | 14692 | 7966 | -6548 | 0.231 | 935 | 0 | 0
1/14/2026 | 4 | 67244 | 18296 | -15131 | 14829 | 7830 | -6476 | 0.23 | 954 | 0 | 0
1/14/2026 | 5 | 69865 | 17269 | -14240 | 15165 | 7391 | -6095 | 0.226 | 763 | 0 | 0
1/14/2026 | 6 | 75449 | 16986 | -14058 | 15766 | 7270 | -6017 | 0.217 | 478 | 0 | 0
1/14/2026 | 7 | 82425 | 15548 | -12790 | 16694 | 6655 | -5474 | 0.21 | 650 | 0 | 0
1/14/2026 | 8 | 85637 | 15591 | -13059 | 16986 | 6673 | -5589 | 0.205 | 728 | 25 | 0.034
1/14/2026 | 9 | 83497 | 13582 | -11301 | 14073 | 5813 | -4837 | 0.175 | 405 | 6 | 0.015
1/14/2026 | 10 | 80007 | 13688 | -11408 | 12402 | 5859 | -4882 | 0.163 | 0 | 0 | 0
1/14/2026 | 11 | 77138 | 13215 | -11378 | 11700 | 5656 | -4870 | 0.158 | 0 | 0 | 0
1/14/2026 | 12 | 74622 | 13163 | -11419 | 11619 | 5634 | -4887 | 0.162 | 0 | 0 | 0
1/14/2026 | 13 | 73463 | 13129 | -11531 | 11657 | 5619 | -4936 | 0.164 | 0 | 0 | 0
1/14/2026 | 14 | 73426 | 13548 | -11917 | 11632 | 5799 | -5100 | 0.164 | 0 | 0 | 0
1/14/2026 | 15 | 75137 | 13241 | -11660 | 12061 | 5667 | -4991 | 0.166 | 0 | 0 | 0
1/14/2026 | 16 | 78459 | 12956 | -11461 | 13452 | 5545 | -4905 | 0.176 | 134 | 0 | 0
1/14/2026 | 17 | 83200 | 15452 | -13693 | 16357 | 6613 | -5860 | 0.201 | 749 | 0 | 0
1/14/2026 | 18 | 87538 | 15961 | -14163 | 16726 | 6831 | -6062 | 0.196 | 1043 | 0 | 0
1/14/2026 | 19 | 87434 | 15811 | -13993 | 16357 | 6767 | -5989 | 0.192 | 1237 | 0 | 0
1/14/2026 | 20 | 85378 | 16006 | -13523 | 15933 | 6850 | -5788 | 0.193 | 1310 | 0 | 0
1/14/2026 | 21 | 83501 | 15979 | -13606 | 15836 | 6839 | -5823 | 0.196 | 1155 | 0 | 0
1/14/2026 | 22 | 80591 | 15882 | -13771 | 15566 | 6798 | -5894 | 0.199 | 1413 | 0 | 0
1/14/2026 | 23 | 76263 | 17275 | -15018 | 15182 | 7394 | -6427 | 0.206 | 1041 | 0 | 0
1/14/2026 | 24 | 72196 | 17238 | -15107 | 14403 | 7378 | -6466 | 0.206 | 745 | 0 | 0
1/15/2026 | 1 | 70448 | 18207 | -16105 | 14099 | 7792 | -6893 | 0.207 | 549 | 0 | 0
1/15/2026 | 2 | 69398 | 18086 | -16126 | 14006 | 7741 | -6902 | 0.208 | 700 | 0 | 0
1/15/2026 | 3 | 68497 | 18243 | -16185 | 13814 | 7808 | -6927 | 0.208 | 840 | 11 | 0.013
1/15/2026 | 4 | 68989 | 18024 | -16037 | 14168 | 7714 | -6864 | 0.212 | 999 | 13 | 0.013
1/15/2026 | 5 | 71594 | 17924 | -15915 | 14435 | 7671 | -6812 | 0.208 | 842 | 3 | 0.004
1/15/2026 | 6 | 76836 | 17729 | -15592 | 14878 | 7588 | -6673 | 0.2 | 824 | 9 | 0.011
1/15/2026 | 7 | 83484 | 16584 | -14584 | 15689 | 7098 | -6242 | 0.194 | 695 | 0 | 0
1/15/2026 | 8 | 86617 | 16679 | -14755 | 15433 | 7138 | -6315 | 0.184 | 791 | 6 | 0.008
1/15/2026 | 9 | 85564 | 12594 | -11751 | 12819 | 5390 | -5030 | 0.153 | 731 | 33 | 0.045
1/15/2026 | 10 | 82518 | 12577 | -11887 | 11630 | 5383 | -5088 | 0.143 | 0 | 0 | 0
1/15/2026 | 11 | 79301 | 12372 | -11620 | 11438 | 5295 | -4973 | 0.147 | 0 | 0 | 0
1/15/2026 | 12 | 76791 | 12536 | -11691 | 11576 | 5365 | -5004 | 0.154 | 0 | 0 | 0
1/15/2026 | 13 | 75211 | 12626 | -11846 | 11521 | 5404 | -5070 | 0.156 | 0 | 0 | 0
1/15/2026 | 14 | 75740 | 12606 | -11784 | 11692 | 5395 | -5044 | 0.157 | 4 | 0 | 0
1/15/2026 | 15 | 76751 | 11875 | -11481 | 11896 | 5082 | -4914 | 0.156 | 0 | 0 | 0
1/15/2026 | 16 | 79751 | 12300 | -12074 | 12760 | 5265 | -5168 | 0.161 | 169 | 0 | 0
1/15/2026 | 17 | 83406 | 14384 | -12934 | 14722 | 6156 | -5536 | 0.181 | 722 | 0 | 0
1/15/2026 | 18 | 87396 | 14715 | -13172 | 15268 | 6298 | -5638 | 0.179 | 855 | 0 | 0
1/15/2026 | 19 | 87430 | 14732 | -13331 | 15440 | 6305 | -5706 | 0.181 | 914 | 0 | 0
1/15/2026 | 20 | 85526 | 15158 | -13257 | 15496 | 6488 | -5674 | 0.187 | 1144 | 0 | 0
1/15/2026 | 21 | 83779 | 14696 | -12732 | 15414 | 6290 | -5449 | 0.19 | 1244 | 0 | 0
1/15/2026 | 22 | 80782 | 14623 | -12649 | 15328 | 6258 | -5414 | 0.195 | 992 | 0 | 0
1/15/2026 | 23 | 76457 | 17280 | -14949 | 14890 | 7396 | -6398 | 0.202 | 736 | 0 | 0
1/15/2026 | 24 | 72693 | 17193 | -14807 | 14638 | 7359 | -6337 | 0.209 | 697 | 39 | 0.056
1/16/2026 | 1 | 70156 | 18321 | -15443 | 14260 | 7841 | -6610 | 0.212 | 995 | 8 | 0.008
1/16/2026 | 2 | 69076 | 18789 | -15955 | 14004 | 8042 | -6829 | 0.212 | 873 | 0 | 0
1/16/2026 | 3 | 68522 | 18736 | -16067 | 13893 | 8019 | -6877 | 0.211 | 926 | 0 | 0
1/16/2026 | 4 | 69325 | 18552 | -16068 | 13929 | 7940 | -6877 | 0.209 | 824 | 0 | 0
1/16/2026 | 5 | 71834 | 17872 | -15554 | 14213 | 7649 | -6657 | 0.205 | 766 | 0 | 0
1/16/2026 | 6 | 76951 | 17081 | -14743 | 14998 | 7311 | -6310 | 0.202 | 948 | 0 | 0
1/16/2026 | 7 | 83891 | 15804 | -13789 | 15496 | 6764 | -5902 | 0.19 | 693 | 0 | 0
1/16/2026 | 8 | 87218 | 15308 | -13567 | 15256 | 6552 | -5807 | 0.18 | 436 | 0 | 0
1/16/2026 | 9 | 86468 | 12708 | -11724 | 12647 | 5439 | -5018 | 0.149 | 359 | 0 | 0
1/16/2026 | 10 | 83442 | 11934 | -11032 | 11724 | 5108 | -4721 | 0.144 | 0 | 0 | 0
1/16/2026 | 11 | 80064 | 11798 | -10900 | 11210 | 5050 | -4665 | 0.143 | 0 | 0 | 0
1/16/2026 | 12 | 76972 | 11808 | -10994 | 11230 | 5054 | -4705 | 0.149 | 0 | 0 | 0
1/16/2026 | 13 | 74986 | 11967 | -11234 | 11334 | 5122 | -4808 | 0.154 | 0 | 0 | 0
1/16/2026 | 14 | 75516 | 11636 | -11081 | 11715 | 4980 | -4742 | 0.157 | 32 | 0 | 0
1/16/2026 | 15 | 76761 | 11396 | -10896 | 11881 | 4877 | -4663 | 0.157 | 14 | 0 | 0
1/16/2026 | 16 | 80043 | 12372 | -11646 | 13021 | 5295 | -4985 | 0.165 | 115 | 0 | 0
1/16/2026 | 17 | 83779 | 15454 | -14141 | 15082 | 6614 | -6052 | 0.184 | 778 | 0 | 0
1/16/2026 | 18 | 87188 | 15345 | -13991 | 15387 | 6568 | -5988 | 0.18 | 1113 | 2 | 0.002
1/16/2026 | 19 | 86660 | 15468 | -14076 | 15365 | 6620 | -6024 | 0.181 | 916 | 0 | 0
1/16/2026 | 20 | 84729 | 15614 | -13994 | 15239 | 6683 | -5989 | 0.185 | 1042 | 0 | 0
1/16/2026 | 21 | 82948 | 15808 | -13889 | 15236 | 6766 | -5944 | 0.189 | 1006 | 0 | 0
1/16/2026 | 22 | 80988 | 16000 | -13964 | 15222 | 6848 | -5977 | 0.194 | 1114 | 0 | 0
1/16/2026 | 23 | 77449 | 16976 | -14747 | 14771 | 7266 | -6312 | 0.197 | 1024 | 0 | 0
1/16/2026 | 24 | 74032 | 17353 | -14913 | 14420 | 7427 | -6382 | 0.202 | 1178 | 78 | 0.066
1/17/2026 | 1 | 71668 | 17338 | -14750 | 14185 | 7421 | -6313 | 0.206 | 1241 | 63 | 0.051
1/17/2026 | 2 | 69918 | 17537 | -14706 | 14196 | 7506 | -6294 | 0.212 | 1374 | 65 | 0.047
1/17/2026 | 3 | 68978 | 17510 | -14628 | 14258 | 7494 | -6261 | 0.216 | 996 | 28 | 0.028
1/17/2026 | 4 | 68626 | 17944 | -14726 | 14340 | 7680 | -6302 | 0.219 | 802 | 7 | 0.009
1/17/2026 | 5 | 69993 | 17592 | -14614 | 14368 | 7529 | -6255 | 0.214 | 814 | 21 | 0.026
1/17/2026 | 6 | 72891 | 16974 | -14346 | 14740 | 7264 | -6140 | 0.21 | 732 | 10 | 0.014
1/17/2026 | 7 | 76332 | 13935 | -11344 | 14642 | 5964 | -4855 | 0.2 | 1277 | 163 | 0.128
1/17/2026 | 8 | 78812 | 13834 | -11386 | 14524 | 5921 | -4873 | 0.192 | 1052 | 134 | 0.127
1/17/2026 | 9 | 79429 | 11332 | -9488 | 11856 | 4850 | -4060 | 0.156 | 259 | 0 | 0
1/17/2026 | 10 | 78120 | 11280 | -9426 | 11000 | 4828 | -4034 | 0.147 | 0 | 0 | 0
1/17/2026 | 11 | 75577 | 11316 | -9559 | 10895 | 4843 | -4091 | 0.151 | 53 | 0 | 0
1/17/2026 | 12 | 72864 | 11506 | -9641 | 10739 | 4925 | -4126 | 0.154 | 0 | 0 | 0
1/17/2026 | 13 | 71197 | 11642 | -9807 | 10568 | 4982 | -4198 | 0.155 | 240 | 0 | 0
1/17/2026 | 14 | 70588 | 11606 | -9712 | 10502 | 4967 | -4157 | 0.156 | 487 | 0 | 0
1/17/2026 | 15 | 72132 | 11558 | -9665 | 10677 | 4946 | -4136 | 0.155 | 323 | 0 | 0
1/17/2026 | 16 | 75891 | 11296 | -10024 | 12049 | 4834 | -4290 | 0.163 | 460 | 0 | 0
1/17/2026 | 17 | 80443 | 14812 | -13681 | 13919 | 6339 | -5856 | 0.177 | 842 | 0 | 0
1/17/2026 | 18 | 83949 | 14275 | -13083 | 14561 | 6110 | -5600 | 0.177 | 747 | 0 | 0
1/17/2026 | 19 | 83582 | 14345 | -12698 | 14480 | 6140 | -5434 | 0.178 | 827 | 0 | 0
1/17/2026 | 20 | 82056 | 14442 | -12718 | 14413 | 6181 | -5443 | 0.181 | 653 | 0 | 0
1/17/2026 | 21 | 80161 | 14415 | -12021 | 14430 | 6170 | -5145 | 0.187 | 974 | 0 | 0
1/17/2026 | 22 | 78097 | 14959 | -12144 | 14443 | 6403 | -5198 | 0.193 | 891 | 0 | 0
1/17/2026 | 23 | 75267 | 17126 | -14495 | 14351 | 7330 | -6204 | 0.199 | 638 | 0 | 0
1/17/2026 | 24 | 72555 | 17414 | -14537 | 14368 | 7453 | -6222 | 0.207 | 378 | 0 | 0
1/18/2026 | 1 | 70830 | 17386 | -14458 | 14255 | 7441 | -6188 | 0.21 | 622 | 0 | 0
1/18/2026 | 2 | 69504 | 17665 | -14769 | 13991 | 7561 | -6321 | 0.21 | 572 | 0 | 0
1/18/2026 | 3 | 68498 | 17765 | -14904 | 13708 | 7604 | -6379 | 0.209 | 665 | 24 | 0.036
1/18/2026 | 4 | 68544 | 17685 | -14873 | 13807 | 7569 | -6366 | 0.21 | 633 | 1 | 0.002
1/18/2026 | 5 | 69689 | 17080 | -14526 | 13801 | 7310 | -6217 | 0.206 | 565 | 0 | 0
1/18/2026 | 6 | 72296 | 16915 | -14581 | 14056 | 7240 | -6241 | 0.202 | 471 | 0 | 0
1/18/2026 | 7 | 76153 | 14235 | -12621 | 14374 | 6093 | -5401 | 0.194 | 872 | 1 | 0.001
1/18/2026 | 8 | 78609 | 14022 | -12766 | 13881 | 6002 | -5464 | 0.181 | 481 | 6 | 0.012
1/18/2026 | 9 | 79488 | 11354 | -10804 | 11874 | 4859 | -4624 | 0.151 | 440 | 10 | 0.023
1/18/2026 | 10 | 78153 | 11120 | -10450 | 11061 | 4759 | -4473 | 0.144 | 507 | 0 | 0
1/18/2026 | 11 | 75220 | 11013 | -10322 | 11052 | 4713 | -4418 | 0.149 | 558 | 8 | 0.014
1/18/2026 | 12 | 73619 | 10954 | -10383 | 11056 | 4688 | -4444 | 0.152 | 576 | 0 | 0
1/18/2026 | 13 | 72505 | 11058 | -10561 | 11136 | 4733 | -4520 | 0.155 | 742 | 0 | 0
1/18/2026 | 14 | 72524 | 11259 | -11018 | 11364 | 4819 | -4716 | 0.158 | 584 | 0 | 0
1/18/2026 | 15 | 73880 | 11545 | -11383 | 11598 | 4942 | -4872 | 0.158 | 148 | 0 | 0
1/18/2026 | 16 | 77389 | 11687 | -11744 | 13013 | 5002 | -5027 | 0.168 | 251 | 0 | 0
1/18/2026 | 17 | 81801 | 13914 | -13239 | 14961 | 5955 | -5666 | 0.185 | 784 | 18 | 0.023
1/18/2026 | 18 | 85464 | 14201 | -13215 | 15581 | 6078 | -5656 | 0.185 | 973 | 44 | 0.045
1/18/2026 | 19 | 85747 | 14406 | -13494 | 15946 | 6166 | -5775 | 0.189 | 1100 | 44 | 0.04
1/18/2026 | 20 | 83990 | 14092 | -12963 | 16180 | 6031 | -5548 | 0.196 | 870 | 0 | 0
1/18/2026 | 21 | 81946 | 13967 | -12500 | 16248 | 5978 | -5350 | 0.202 | 1152 | 0 | 0
1/18/2026 | 22 | 79282 | 14436 | -12871 | 16683 | 6178 | -5509 | 0.215 | 1258 | 0 | 0
1/18/2026 | 23 | 75917 | 15965 | -14186 | 16704 | 6833 | -6071 | 0.225 | 1036 | 0 | 0
1/18/2026 | 24 | 73302 | 15554 | -14226 | 16364 | 6657 | -6088 | 0.227 | 879 | 0 | 0
1/19/2026 | 1 | 71919 | 15648 | -14476 | 17398 | 6697 | -6196 | 0.245 | 874 | 0 | 0
1/19/2026 | 2 | 70522 | 16400 | -14994 | 17040 | 7019 | -6417 | 0.245 | 540 | 0 | 0
1/19/2026 | 3 | 69938 | 16256 | -14794 | 16859 | 6957 | -6332 | 0.245 | 313 | 0 | 0
1/19/2026 | 4 | 70735 | 15905 | -14584 | 16930 | 6807 | -6241 | 0.243 | 240 | 0 | 0
1/19/2026 | 5 | 73416 | 15699 | -14534 | 17434 | 6719 | -6220 | 0.24 | 311 | 0 | 0
1/19/2026 | 6 | 78301 | 15544 | -14527 | 17770 | 6653 | -6218 | 0.23 | 754 | 0 | 0
1/19/2026 | 7 | 84104 | 13145 | -12285 | 18416 | 5626 | -5258 | 0.221 | 1463 | 175 | 0.12
1/19/2026 | 8 | 87280 | 13614 | -12906 | 17822 | 5827 | -5524 | 0.206 | 1428 | 226 | 0.158
1/19/2026 | 9 | 86974 | 11458 | -10737 | 15096 | 4904 | -4596 | 0.176 | 776 | 0 | 0
1/19/2026 | 10 | 85048 | 10792 | -10143 | 13637 | 4619 | -4342 | 0.162 | 736 | 0 | 0
1/19/2026 | 11 | 82099 | 10547 | -10018 | 14262 | 4514 | -4287 | 0.175 | 469 | 0 | 0
1/19/2026 | 12 | 80168 | 10322 | -9994 | 13883 | 4418 | -4278 | 0.174 | 412 | 0 | 0
1/19/2026 | 13 | 79112 | 10135 | -10008 | 13408 | 4338 | -4284 | 0.17 | 406 | 0 | 0
1/19/2026 | 14 | 78694 | 10042 | -9883 | 13559 | 4298 | -4230 | 0.173 | 573 | 0 | 0
1/19/2026 | 15 | 79600 | 10189 | -9993 | 13722 | 4361 | -4277 | 0.173 | 688 | 4 | 0.006
1/19/2026 | 16 | 82955 | 10807 | -10852 | 15205 | 4625 | -4645 | 0.183 | 393 | 16 | 0.041
1/19/2026 | 17 | 87027 | 13298 | -12812 | 17591 | 5692 | -5483 | 0.203 | 596 | 0 | 0
1/19/2026 | 18 | 90821 | 13748 | -12870 | 18066 | 5884 | -5508 | 0.201 | 890 | 47 | 0.053
1/19/2026 | 19 | 90630 | 13859 | -12823 | 18474 | 5932 | -5488 | 0.206 | 1006 | 65 | 0.065
1/19/2026 | 20 | 88596 | 13870 | -12560 | 18818 | 5936 | -5376 | 0.216 | 1329 | 121 | 0.091
1/19/2026 | 21 | 86179 | 14003 | -12417 | 19015 | 5993 | -5315 | 0.224 | 1695 | 216 | 0.127
1/19/2026 | 22 | 83198 | 13992 | -12435 | 19115 | 5989 | -5322 | 0.233 | 1866 | 255 | 0.137
1/19/2026 | 23 | 78435 | 15857 | -14091 | 18272 | 6787 | -6031 | 0.237 | 1208 | 59 | 0.049
1/19/2026 | 24 | 74071 | 16264 | -13946 | 17444 | 6961 | -5969 | 0.241 | 783 | 1 | 0.001
1/20/2026 | 1 | 72620 | 16269 | -13968 | 17378 | 6963 | -5978 | 0.245 | 991 | 19 | 0.019
1/20/2026 | 2 | 71303 | 16462 | -13952 | 17194 | 7046 | -5971 | 0.248 | 867 | 0 | 0
1/20/2026 | 3 | 70637 | 16711 | -14149 | 17356 | 7152 | -6056 | 0.252 | 833 | 0 | 0
1/20/2026 | 4 | 71649 | 16604 | -14298 | 17632 | 7106 | -6120 | 0.252 | 791 | 0 | 0
1/20/2026 | 5 | 75013 | 16189 | -14364 | 17855 | 6929 | -6148 | 0.243 | 436 | 0 | 0
1/20/2026 | 6 | 80823 | 16729 | -15042 | 18379 | 7160 | -6438 | 0.231 | 236 | 0 | 0
1/20/2026 | 7 | 88798 | 14955 | -13916 | 18603 | 6400 | -5956 | 0.212 | 390 | 0 | 0
1/20/2026 | 8 | 92030 | 15059 | -13973 | 17952 | 6445 | -5981 | 0.198 | 619 | 31 | 0.05
1/20/2026 | 9 | 91059 | 12082 | -11615 | 14930 | 5171 | -4972 | 0.165 | 1438 | 299 | 0.208
1/20/2026 | 10 | 88069 | 11640 | -11186 | 14124 | 4982 | -4788 | 0.162 | 777 | 35 | 0.045
1/20/2026 | 11 | 84796 | 11466 | -10950 | 14047 | 4907 | -4687 | 0.167 | 644 | 0 | 0
1/20/2026 | 12 | 82180 | 11508 | -11132 | 13905 | 4926 | -4764 | 0.17 | 586 | 0 | 0
1/20/2026 | 13 | 81159 | 11518 | -11161 | 13907 | 4930 | -4777 | 0.172 | 605 | 0 | 0
1/20/2026 | 14 | 80749 | 11302 | -11019 | 13748 | 4837 | -4716 | 0.171 | 800 | 68 | 0.085
1/20/2026 | 15 | 81135 | 11059 | -10879 | 13966 | 4733 | -4656 | 0.173 | 1551 | 355 | 0.229
1/20/2026 | 16 | 84334 | 11596 | -11615 | 15730 | 4963 | -4971 | 0.186 | 1130 | 221 | 0.196
1/20/2026 | 17 | 88173 | 13671 | -13236 | 18154 | 5851 | -5665 | 0.207 | 882 | 52 | 0.059
1/20/2026 | 18 | 92060 | 15321 | -14482 | 18936 | 6557 | -6198 | 0.208 | 597 | 1 | 0.002
1/20/2026 | 19 | 92296 | 15557 | -14439 | 19384 | 6658 | -6180 | 0.213 | 987 | 91 | 0.092
1/20/2026 | 20 | 90179 | 15750 | -14286 | 19566 | 6741 | -6114 | 0.22 | 496 | 10 | 0.02
1/20/2026 | 21 | 87703 | 16743 | -14792 | 19544 | 7166 | -6331 | 0.227 | 975 | 19 | 0.019
1/20/2026 | 22 | 84883 | 16850 | -14917 | 19116 | 7212 | -6384 | 0.23 | 1074 | 32 | 0.03
1/20/2026 | 23 | 80282 | 18198 | -15979 | 18649 | 7789 | -6839 | 0.238 | 1198 | 1 | 0.001
1/20/2026 | 24 | 76312 | 17797 | -15283 | 18351 | 7617 | -6541 | 0.246 | 791 | 0 | 0
1/21/2026 | 1 | 74125 | 17007 | -14564 | 17979 | 7279 | -6233 | 0.248 | 943 | 48 | 0.051
1/21/2026 | 2 | 72521 | 17503 | -14872 | 18445 | 7491 | -6366 | 0.26 | 841 | 0 | 0
1/21/2026 | 3 | 71678 | 17431 | -14727 | 18653 | 7460 | -6303 | 0.266 | 951 | 0 | 0
1/21/2026 | 4 | 72469 | 16816 | -14254 | 18850 | 7197 | -6101 | 0.266 | 1088 | 0 | 0
1/21/2026 | 5 | 75224 | 16570 | -13955 | 18845 | 7092 | -5973 | 0.256 | 862 | 47 | 0.055
1/21/2026 | 6 | 80831 | 16215 | -13687 | 19541 | 6940 | -5858 | 0.247 | 842 | 0 | 0
1/21/2026 | 7 | 88440 | 15530 | -13613 | 20248 | 6647 | -5826 | 0.233 | 948 | 12 | 0.013
1/21/2026 | 8 | 91747 | 15187 | -13343 | 19955 | 6500 | -5711 | 0.222 | 1067 | 275 | 0.258
1/21/2026 | 9 | 90603 | 14864 | -13003 | 18674 | 6361 | -5565 | 0.211 | 1225 | 280 | 0.229
1/21/2026 | 10 | 89386 | 14478 | -12708 | 18028 | 6197 | -5439 | 0.206 | 1022 | 108 | 0.106
1/21/2026 | 11 | 85903 | 14114 | -12296 | 17458 | 6041 | -5262 | 0.208 | 440 | 0 | 0
1/21/2026 | 12 | 83501 | 14070 | -12123 | 17369 | 6022 | -5189 | 0.213 | 345 | 0 | 0
1/21/2026 | 13 | 82304 | 13725 | -12043 | 17249 | 5874 | -5154 | 0.214 | 670 | 0 | 0
1/21/2026 | 14 | 81492 | 13691 | -12112 | 17530 | 5860 | -5184 | 0.219 | 644 | 0 | 0
1/21/2026 | 15 | 81931 | 13866 | -12362 | 17690 | 5934 | -5291 | 0.22 | 836 | 8 | 0.01
1/21/2026 | 16 | 84977 | 14154 | -12901 | 18805 | 6058 | -5522 | 0.224 | 903 | 128 | 0.142
1/21/2026 | 17 | 86578 | 15125 | -13615 | 19712 | 6474 | -5827 | 0.231 | 689 | 2 | 0.003
1/21/2026 | 18 | 91374 | 15198 | -13682 | 20004 | 6505 | -5856 | 0.222 | 926 | 38 | 0.041
1/21/2026 | 19 | 92096 | 15541 | -14208 | 20190 | 6652 | -6081 | 0.222 | 971 | 2 | 0.002
1/21/2026 | 20 | 91087 | 15867 | -14450 | 20527 | 6791 | -6185 | 0.228 | 1155 | 10 | 0.009
1/21/2026 | 21 | 88899 | 15988 | -14668 | 20626 | 6843 | -6278 | 0.235 | 1244 | 17 | 0.014
1/21/2026 | 22 | 85565 | 16100 | -14406 | 20569 | 6890 | -6166 | 0.244 | 1694 | 117 | 0.069
1/21/2026 | 23 | 81232 | 15535 | -13724 | 20043 | 6649 | -5873 | 0.251 | 1310 | 51 | 0.039
1/21/2026 | 24 | 77473 | 15779 | -14201 | 19656 | 6753 | -6078 | 0.257 | 661 | 14 | 0.021
1/22/2026 | 1 | 75379 | 15422 | -14088 | 19615 | 6601 | -6029 | 0.263 | 539 | 49 | 0.091
1/22/2026 | 2 | 74046 | 14854 | -13536 | 19675 | 6358 | -5793 | 0.269 | 467 | 4 | 0.009
1/22/2026 | 3 | 73504 | 15054 | -13818 | 19712 | 6443 | -5914 | 0.271 | 460 | 0 | 0
1/22/2026 | 4 | 74202 | 14857 | -13724 | 19943 | 6359 | -5874 | 0.271 | 590 | 0 | 0
1/22/2026 | 5 | 77086 | 14225 | -13300 | 20052 | 6088 | -5693 | 0.262 | 736 | 0 | 0
1/22/2026 | 6 | 82662 | 14516 | -13697 | 20586 | 6213 | -5862 | 0.251 | 427 | 0 | 0
1/22/2026 | 7 | 89163 | 12830 | -12409 | 21180 | 5491 | -5311 | 0.238 | 911 | 0 | 0
1/22/2026 | 8 | 92717 | 12992 | -12528 | 21130 | 5561 | -5362 | 0.229 | 1168 | 94 | 0.08
1/22/2026 | 9 | 92438 | 12369 | -12047 | 20660 | 5294 | -5156 | 0.224 | 1067 | 106 | 0.099
1/22/2026 | 10 | 89721 | 12042 | -11399 | 19591 | 5154 | -4879 | 0.22 | 1031 | 132 | 0.128
1/22/2026 | 11 | 86970 | 11857 | -11218 | 18926 | 5075 | -4801 | 0.219 | 611 | 3 | 0.005
1/22/2026 | 12 | 84268 | 12017 | -11436 | 18785 | 5143 | -4894 | 0.224 | 612 | 1 | 0.002
1/22/2026 | 13 | 83038 | 11820 | -11441 | 18524 | 5059 | -4897 | 0.224 | 644 | 10 | 0.016
1/22/2026 | 14 | 82174 | 11701 | -11436 | 18348 | 5008 | -4894 | 0.224 | 555 | 4 | 0.007
1/22/2026 | 15 | 82634 | 11572 | -11239 | 18867 | 4953 | -4810 | 0.229 | 235 | 0 | 0
1/22/2026 | 16 | 84801 | 11491 | -11118 | 19589 | 4918 | -4758 | 0.232 | 396 | 0 | 0
1/22/2026 | 17 | 88622 | 12557 | -12543 | 21038 | 5374 | -5368 | 0.237 | 852 | 0 | 0
1/22/2026 | 18 | 92590 | 12095 | -11952 | 21487 | 5177 | -5115 | 0.232 | 1027 | 1 | 0.001
1/22/2026 | 19 | 92652 | 12590 | -12375 | 21780 | 5388 | -5296 | 0.236 | 980 | 0 | 0
1/22/2026 | 20 | 90781 | 12908 | -12247 | 21598 | 5525 | -5242 | 0.239 | 1105 | 0 | 0
1/22/2026 | 21 | 88460 | 12535 | -11615 | 21586 | 5365 | -4971 | 0.246 | 1110 | 0 | 0
1/22/2026 | 22 | 85669 | 12250 | -11310 | 21184 | 5243 | -4841 | 0.249 | 1198 | 13 | 0.011
1/22/2026 | 23 | 80944 | 13594 | -12363 | 20895 | 5818 | -5291 | 0.261 | 893 | 0 | 0
1/22/2026 | 24 | 77020 | 13766 | -12615 | 20424 | 5892 | -5399 | 0.268 | 915 | 0 | 0
1/23/2026 | 1 | 74539 | 14308 | -12895 | 19521 | 6124 | -5519 | 0.265 | 1341 | 165 | 0.123
1/23/2026 | 2 | 73137 | 14434 | -13036 | 19470 | 6178 | -5579 | 0.269 | 950 | 0 | 0
1/23/2026 | 3 | 72201 | 14745 | -13226 | 19609 | 6311 | -5660 | 0.275 | 826 | 0 | 0
1/23/2026 | 4 | 72744 | 14670 | -13349 | 20006 | 6279 | -5713 | 0.278 | 609 | 0 | 0
1/23/2026 | 5 | 75148 | 14568 | -13363 | 20436 | 6235 | -5720 | 0.274 | 520 | 0 | 0
1/23/2026 | 6 | 80367 | 14912 | -13856 | 20786 | 6382 | -5930 | 0.261 | 888 | 0 | 0
1/23/2026 | 7 | 87067 | 13310 | -12628 | 20917 | 5697 | -5405 | 0.242 | 689 | 0 | 0
1/23/2026 | 8 | 91040 | 12671 | -12095 | 21161 | 5423 | -5176 | 0.234 | 146 | 0 | 0
1/23/2026 | 9 | 91284 | 11512 | -11201 | 20402 | 4927 | -4794 | 0.224 | 0 | 0 | 0
1/23/2026 | 10 | 89581 | 11340 | -11318 | 19609 | 4853 | -4844 | 0.219 | 0 | 0 | 0
1/23/2026 | 11 | 86236 | 11098 | -10960 | 19322 | 4750 | -4691 | 0.224 | 63 | 0 | 0
1/23/2026 | 12 | 83754 | 11102 | -10989 | 19236 | 4752 | -4703 | 0.23 | 0 | 0 | 0
1/23/2026 | 13 | 81969 | 11281 | -11258 | 19252 | 4828 | -4818 | 0.235 | 0 | 0 | 0
1/23/2026 | 14 | 81567 | 11555 | -11642 | 19446 | 4946 | -4983 | 0.238 | 6 | 0 | 0
1/23/2026 | 15 | 81613 | 11817 | -12096 | 19389 | 5058 | -5177 | 0.237 | 11 | 0 | 0
1/23/2026 | 16 | 84116 | 11822 | -12478 | 20382 | 5060 | -5341 | 0.241 | 1 | 0 | 0
1/23/2026 | 17 | 88093 | 12501 | -13160 | 21527 | 5350 | -5632 | 0.243 | 939 | 2 | 0.002
1/23/2026 | 18 | 91953 | 12607 | -12960 | 22255 | 5396 | -5547 | 0.241 | 759 | 0 | 0
1/23/2026 | 19 | 92051 | 13009 | -13323 | 22191 | 5568 | -5702 | 0.24 | 855 | 0 | 0
1/23/2026 | 20 | 90493 | 12991 | -13202 | 22064 | 5560 | -5650 | 0.243 | 587 | 0 | 0
1/23/2026 | 21 | 88929 | 12935 | -13098 | 21738 | 5536 | -5606 | 0.244 | 847 | 0 | 0
1/23/2026 | 22 | 87026 | 13270 | -13736 | 21325 | 5680 | -5879 | 0.244 | 1151 | 0 | 0
1/23/2026 | 23 | 83352 | 15305 | -15396 | 21163 | 6550 | -6590 | 0.254 | 767 | 0 | 0
1/23/2026 | 24 | 79953 | 15210 | -15185 | 21035 | 6510 | -6499 | 0.263 | 732 | 9 | 0.012
1/24/2026 | 1 | 78087 | 15383 | -15426 | 20328 | 6584 | -6602 | 0.26 | 1205 | 74 | 0.061
1/24/2026 | 2 | 76760 | 15504 | -15412 | 20196 | 6636 | -6596 | 0.263 | 1414 | 166 | 0.117
1/24/2026 | 3 | 75546 | 15761 | -15675 | 20027 | 6746 | -6709 | 0.265 | 1048 | 25 | 0.024
1/24/2026 | 4 | 75623 | 15588 | -15615 | 20015 | 6672 | -6683 | 0.265 | 1045 | 12 | 0.011
1/24/2026 | 5 | 77174 | 14926 | -15130 | 20116 | 6388 | -6476 | 0.26 | 824 | 6 | 0.007
1/24/2026 | 6 | 79874 | 14915 | -15331 | 20272 | 6383 | -6562 | 0.253 | 769 | 66 | 0.086
1/24/2026 | 7 | 83701 | 14121 | -15100 | 20611 | 6044 | -6462 | 0.244 | 1172 | 145 | 0.124
1/24/2026 | 8 | 86999 | 14318 | -15498 | 20479 | 6128 | -6633 | 0.233 | 856 | 83 | 0.097
1/24/2026 | 9 | 87699 | 13294 | -14377 | 18924 | 5690 | -6154 | 0.213 | 0 | 0 | 0
1/24/2026 | 10 | 86232 | 13495 | -14818 | 18313 | 5776 | -6342 | 0.209 | 212 | 0 | 0
1/24/2026 | 11 | 82997 | 13247 | -14471 | 17913 | 5670 | -6193 | 0.213 | 588 | 0 | 0
1/24/2026 | 12 | 80224 | 12685 | -13867 | 17212 | 5429 | -5935 | 0.211 | 544 | 17 | 0.031
1/24/2026 | 13 | 78239 | 13091 | -14517 | 16540 | 5603 | -6213 | 0.207 | 709 | 63 | 0.089
1/24/2026 | 14 | 77166 | 13016 | -14540 | 15733 | 5571 | -6223 | 0.199 | 723 | 91 | 0.126
1/24/2026 | 15 | 78084 | 13243 | -14783 | 16026 | 5668 | -6327 | 0.201 | 1250 | 256 | 0.205
1/24/2026 | 16 | 80789 | 13651 | -15353 | 17048 | 5843 | -6571 | 0.206 | 1272 | 253 | 0.199
1/24/2026 | 17 | 85854 | 14595 | -16468 | 19218 | 6247 | -7048 | 0.219 | 1379 | 80 | 0.058
1/24/2026 | 18 | 90301 | 15233 | -17085 | 19776 | 6519 | -7312 | 0.215 | 964 | 75 | 0.078
1/24/2026 | 19 | 91207 | 15936 | -17708 | 19873 | 6821 | -7579 | 0.214 | 1059 | 0 | 0
1/24/2026 | 20 | 89940 | 16195 | -18076 | 19917 | 6932 | -7737 | 0.217 | 287 | 0 | 0
1/24/2026 | 21 | 88664 | 15735 | -17583 | 20229 | 6735 | -7526 | 0.224 | 782 | 0 | 0
1/24/2026 | 22 | 86715 | 16226 | -17846 | 20489 | 6945 | -7638 | 0.233 | 1091 | 16 | 0.015
1/24/2026 | 23 | 83799 | 16285 | -17255 | 20668 | 6970 | -7385 | 0.245 | 1040 | 17 | 0.016
1/24/2026 | 24 | 80922 | 16423 | -17299 | 21005 | 7029 | -7404 | 0.258 | 1010 | 50 | 0.05
1/25/2026 | 1 | 80398 | 15412 | -16979 | 21271 | 6596 | -7267 | 0.261 | 1192 | 100 | 0.084
1/25/2026 | 2 | 79093 | 15066 | -16562 | 21048 | 6448 | -7088 | 0.263 | 1160 | 92 | 0.079
1/25/2026 | 3 | 78452 | 15262 | -16670 | 21200 | 6532 | -7134 | 0.267 | 953 | 26 | 0.027
1/25/2026 | 4 | 78945 | 15101 | -16711 | 21402 | 6463 | -7152 | 0.268 | 841 | 6 | 0.007
1/25/2026 | 5 | 79798 | 14843 | -16439 | 21767 | 6353 | -7036 | 0.27 | 1229 | 105 | 0.085
1/25/2026 | 6 | 82277 | 14947 | -16546 | 22098 | 6397 | -7082 | 0.265 | 1751 | 256 | 0.146
1/25/2026 | 7 | 85758 | 15688 | -17120 | 22253 | 6714 | -7328 | 0.257 | 1269 | 216 | 0.17
1/25/2026 | 8 | 87909 | 15563 | -17161 | 21092 | 6661 | -7345 | 0.236 | 241 | 3 | 0.012
1/25/2026 | 9 | 87607 | 14095 | -15912 | 18312 | 6033 | -6810 | 0.204 | 0 | 0 | 0
1/25/2026 | 10 | 85324 | 13861 | -14896 | 17844 | 5933 | -6376 | 0.206 | 85 | 0 | 0
1/25/2026 | 11 | 81947 | 14242 | -14848 | 17590 | 6096 | -6355 | 0.213 | 88 | 0 | 0
1/25/2026 | 12 | 78435 | 14326 | -14762 | 17315 | 6132 | -6318 | 0.22 | 271 | 1 | 0.004
1/25/2026 | 13 | 76612 | 14338 | -14747 | 16278 | 6137 | -6312 | 0.211 | 0 | 0 | 0
1/25/2026 | 14 | 75955 | 14555 | -15026 | 14731 | 6230 | -6431 | 0.192 | 0 | 0 | 0
1/25/2026 | 15 | 77688 | 14134 | -15275 | 14208 | 6050 | -6538 | 0.179 | 0 | 0 | 0
1/25/2026 | 16 | 81193 | 15158 | -16620 | 16250 | 6488 | -7113 | 0.196 | 57 | 0 | 0
1/25/2026 | 17 | 86810 | 15582 | -17320 | 19574 | 6669 | -7413 | 0.221 | 1328 | 154 | 0.116
1/25/2026 | 18 | 92517 | 15827 | -17522 | 20849 | 6774 | -7500 | 0.222 | 1797 | 367 | 0.204
1/25/2026 | 19 | 93464 | 17120 | -18601 | 21208 | 7327 | -7961 | 0.224 | 1920 | 468 | 0.244
1/25/2026 | 20 | 92578 | 17524 | -18889 | 21160 | 7500 | -8084 | 0.226 | 2048 | 490 | 0.239
1/25/2026 | 21 | 91601 | 16905 | -18238 | 20855 | 7236 | -7806 | 0.225 | 1164 | 182 | 0.156
1/25/2026 | 22 | 88907 | 16819 | -17986 | 20589 | 7198 | -7698 | 0.229 | 1802 | 588 | 0.326
1/25/2026 | 23 | 84422 | 16521 | -17068 | 20353 | 7071 | -7305 | 0.24 | 1688 | 447 | 0.265
1/25/2026 | 24 | 80716 | 16178 | -16448 | 20356 | 6924 | -7040 | 0.252 | 1858 | 414 | 0.223
1/26/2026 | 1 | 78781 | 15793 | -16071 | 20065 | 6760 | -6879 | 0.254 | 1842 | 390 | 0.212
1/26/2026 | 2 | 77693 | 15688 | -16167 | 20142 | 6714 | -6919 | 0.258 | 1346 | 231 | 0.172
1/26/2026 | 3 | 77421 | 15555 | -16362 | 20120 | 6658 | -7003 | 0.258 | 1148 | 200 | 0.174
1/26/2026 | 4 | 78126 | 15540 | -16264 | 20095 | 6651 | -6961 | 0.256 | 1146 | 153 | 0.134
1/26/2026 | 5 | 81241 | 16009 | -16841 | 20266 | 6852 | -7208 | 0.248 | 804 | 63 | 0.078
1/26/2026 | 6 | 87160 | 15771 | -16805 | 20641 | 6750 | -7193 | 0.235 | 850 | 29 | 0.034
1/26/2026 | 7 | 94681 | 16268 | -17733 | 21154 | 6962 | -7590 | 0.22 | 366 | 0 | 0
1/26/2026 | 8 | 97971 | 16137 | -17605 | 20818 | 6907 | -7535 | 0.209 | 533 | 97 | 0.182
1/26/2026 | 9 | 96063 | 14881 | -16607 | 18685 | 6369 | -7108 | 0.19 | 832 | 119 | 0.143
1/26/2026 | 10 | 91524 | 13228 | -14513 | 17661 | 5662 | -6211 | 0.19 | 709 | 94 | 0.133
1/26/2026 | 11 | 86855 | 12755 | -13828 | 17062 | 5459 | -5919 | 0.194 | 650 | 0 | 0
1/26/2026 | 12 | 83917 | 13299 | -14257 | 16577 | 5692 | -6102 | 0.195 | 87 | 0 | 0
1/26/2026 | 13 | 81778 | 13004 | -14027 | 16021 | 5566 | -6003 | 0.193 | 0 | 0 | 0
1/26/2026 | 14 | 80027 | 12924 | -13824 | 15220 | 5532 | -5917 | 0.187 | 0 | 0 | 0
1/26/2026 | 15 | 80994 | 12770 | -13759 | 14685 | 5466 | -5889 | 0.178 | 0 | 0 | 0
1/26/2026 | 16 | 84646 | 13218 | -14650 | 15789 | 5657 | -6270 | 0.182 | 0 | 0 | 0
1/26/2026 | 17 | 89692 | 14587 | -16295 | 19288 | 6243 | -6974 | 0.211 | 380 | 9 | 0.024
1/26/2026 | 18 | 95172 | 14498 | -16112 | 20683 | 6205 | -6896 | 0.214 | 1658 | 324 | 0.195
1/26/2026 | 19 | 95943 | 14908 | -16492 | 20864 | 6381 | -7059 | 0.214 | 915 | 80 | 0.087
1/26/2026 | 20 | 94379 | 15201 | -16548 | 20786 | 6506 | -7083 | 0.217 | 1370 | 125 | 0.091
1/26/2026 | 21 | 91859 | 15217 | -16298 | 20674 | 6513 | -6975 | 0.223 | 1207 | 108 | 0.089
1/26/2026 | 22 | 88968 | 14669 | -15804 | 20288 | 6278 | -6764 | 0.225 | 1403 | 203 | 0.145
1/26/2026 | 23 | 83971 | 14285 | -15077 | 19934 | 6114 | -6453 | 0.236 | 1057 | 139 | 0.132
1/26/2026 | 24 | 79794 | 14324 | -14897 | 19514 | 6130 | -6376 | 0.243 | 1050 | 126 | 0.12
1/27/2026 | 1 | 77241 | 14978 | -14973 | 19301 | 6411 | -6408 | 0.25 | 906 | 123 | 0.136
1/27/2026 | 2 | 75703 | 14714 | -14311 | 19259 | 6297 | -6125 | 0.255 | 852 | 119 | 0.14
1/27/2026 | 3 | 75066 | 14376 | -13940 | 19320 | 6153 | -5967 | 0.258 | 655 | 63 | 0.096
1/27/2026 | 4 | 76246 | 14322 | -14281 | 19504 | 6130 | -6113 | 0.256 | 540 | 15 | 0.028
1/27/2026 | 5 | 79706 | 14474 | -15039 | 19725 | 6195 | -6437 | 0.246 | 519 | 20 | 0.039
1/27/2026 | 6 | 85925 | 14621 | -15477 | 19957 | 6258 | -6624 | 0.23 | 26 | 0 | 0
1/27/2026 | 7 | 93656 | 15392 | -16510 | 20439 | 6588 | -7066 | 0.216 | 99 | 0 | 0
1/27/2026 | 8 | 96420 | 14793 | -15975 | 19572 | 6332 | -6837 | 0.2 | 96 | 0 | 0
1/27/2026 | 9 | 93422 | 13359 | -15016 | 16331 | 5718 | -6427 | 0.17 | 37 | 0 | 0
1/27/2026 | 10 | 89069 | 12360 | -14169 | 14872 | 5290 | -6064 | 0.162 | 0 | 0 | 0
1/27/2026 | 11 | 84776 | 12191 | -13886 | 14755 | 5218 | -5943 | 0.169 | 0 | 0 | 0
1/27/2026 | 12 | 80132 | 12244 | -13824 | 14362 | 5240 | -5917 | 0.174 | 0 | 0 | 0
1/27/2026 | 13 | 78572 | 12458 | -13819 | 14116 | 5332 | -5915 | 0.175 | 0 | 0 | 0
1/27/2026 | 14 | 78054 | 12538 | -13759 | 13945 | 5366 | -5888 | 0.175 | 0 | 0 | 0
1/27/2026 | 15 | 79531 | 12698 | -14027 | 14010 | 5435 | -6003 | 0.172 | 0 | 0 | 0
1/27/2026 | 16 | 84592 | 12626 | -14304 | 15242 | 5404 | -6122 | 0.175 | 0 | 0 | 0
1/27/2026 | 17 | 89386 | 14431 | -15834 | 18685 | 6176 | -6777 | 0.206 | 47 | 0 | 0
1/27/2026 | 18 | 93036 | 15190 | -16448 | 19542 | 6502 | -7040 | 0.207 | 363 | 0 | 0
1/27/2026 | 19 | 93338 | 15462 | -16908 | 19920 | 6618 | -7237 | 0.21 | 530 | 0 | 0
1/27/2026 | 20 | 91345 | 14952 | -16202 | 20084 | 6399 | -6935 | 0.217 | 645 | 0 | 0
1/27/2026 | 21 | 89006 | 14548 | -15533 | 19853 | 6227 | -6648 | 0.221 | 1006 | 119 | 0.118
1/27/2026 | 22 | 85576 | 14078 | -14819 | 19739 | 6025 | -6342 | 0.229 | 1526 | 272 | 0.178
1/27/2026 | 23 | 80871 | 14180 | -14202 | 19276 | 6069 | -6078 | 0.238 | 1371 | 267 | 0.195
1/27/2026 | 24 | 76738 | 15049 | -14740 | 19154 | 6441 | -6309 | 0.25 | 1447 | 409 | 0.283
1/28/2026 | 1 | 74266 | 16218 | -15574 | 19203 | 6941 | -6666 | 0.26 | 1601 | 364 | 0.227
1/28/2026 | 2 | 72482 | 16434 | -15600 | 19143 | 7034 | -6677 | 0.266 | 1402 | 289 | 0.206
1/28/2026 | 3 | 71482 | 16408 | -15504 | 18834 | 7023 | -6636 | 0.266 | 1031 | 155 | 0.15
1/28/2026 | 4 | 71811 | 16536 | -15565 | 18841 | 7078 | -6662 | 0.265 | 812 | 79 | 0.097
1/28/2026 | 5 | 75081 | 16367 | -15805 | 19018 | 7005 | -6764 | 0.255 | 690 | 26 | 0.038
1/28/2026 | 6 | 80818 | 17102 | -16796 | 19851 | 7320 | -7189 | 0.246 | 815 | 23 | 0.028
1/28/2026 | 7 | 87284 | 16894 | -16905 | 20500 | 7231 | -7235 | 0.235 | 1261 | 129 | 0.102
1/28/2026 | 8 | 90362 | 16355 | -16414 | 19746 | 7000 | -7025 | 0.218 | 1300 | 261 | 0.201
1/28/2026 | 9 | 88102 | 14861 | -15299 | 17696 | 6360 | -6548 | 0.2 | 642 | 8 | 0.012
1/28/2026 | 10 | 83873 | 13880 | -14336 | 15628 | 5941 | -6136 | 0.185 | 43 | 0 | 0
1/28/2026 | 11 | 81224 | 13321 | -14185 | 14960 | 5701 | -6071 | 0.182 | 0 | 0 | 0
1/28/2026 | 12 | 79311 | 13352 | -14047 | 14854 | 5714 | -6012 | 0.185 | 10 | 0 | 0
1/28/2026 | 13 | 78696 | 13134 | -13901 | 14962 | 5621 | -5949 | 0.188 | 0 | 0 | 0
1/28/2026 | 14 | 78166 | 13287 | -14015 | 15257 | 5687 | -5998 | 0.193 | 0 | 0 | 0
1/28/2026 | 15 | 79596 | 13225 | -14266 | 15458 | 5660 | -6106 | 0.191 | 0 | 0 | 0
1/28/2026 | 16 | 82905 | 13000 | -14617 | 16664 | 5564 | -6256 | 0.196 | 310 | 0 | 0
1/28/2026 | 17 | 86657 | 15339 | -16649 | 18466 | 6565 | -7126 | 0.21 | 618 | 0 | 0
1/28/2026 | 18 | 90269 | 16708 | -17033 | 19209 | 7151 | -7290 | 0.212 | 442 | 0 | 0
1/28/2026 | 19 | 90868 | 17218 | -17509 | 19324 | 7369 | -7494 | 0.212 | 238 | 0 | 0
1/28/2026 | 20 | 89168 | 16834 | -16783 | 19384 | 7205 | -7183 | 0.218 | 388 | 0 | 0
1/28/2026 | 21 | 87273 | 16464 | -16136 | 19487 | 7046 | -6906 | 0.224 | 12 | 0 | 0
1/28/2026 | 22 | 83686 | 16494 | -16006 | 19538 | 7059 | -6850 | 0.235 | 0 | 0 | 0
1/28/2026 | 23 | 79150 | 16965 | -16094 | 19277 | 7261 | -6889 | 0.246 | 239 | 0 | 0
1/28/2026 | 24 | 75136 | 17070 | -15988 | 18673 | 7306 | -6843 | 0.251 | 546 | 0 | 0
1/29/2026 | 1 | 73272 | 15693 | -14501 | 18322 | 6716 | -6207 | 0.253 | 676 | 0 | 0
1/29/2026 | 2 | 71540 | 15339 | -14261 | 18000 | 6565 | -6104 | 0.254 | 645 | 0 | 0
1/29/2026 | 3 | 70256 | 15429 | -14295 | 17974 | 6604 | -6118 | 0.259 | 702 | 0 | 0
1/29/2026 | 4 | 71051 | 15548 | -14489 | 18221 | 6654 | -6201 | 0.259 | 792 | 0 | 0
1/29/2026 | 5 | 73768 | 15829 | -14859 | 18249 | 6775 | -6360 | 0.25 | 883 | 0 | 0
1/29/2026 | 6 | 79022 | 15916 | -14855 | 18755 | 6812 | -6358 | 0.24 | 478 | 0 | 0
1/29/2026 | 7 | 85529 | 14682 | -13989 | 18745 | 6284 | -5987 | 0.221 | 253 | 0 | 0
1/29/2026 | 8 | 87940 | 14305 | -13571 | 18208 | 6123 | -5808 | 0.209 | 515 | 0 | 0
1/29/2026 | 9 | 85554 | 12140 | -11675 | 15709 | 5196 | -4997 | 0.185 | 225 | 0 | 0
1/29/2026 | 10 | 81807 | 11439 | -11230 | 14102 | 4896 | -4806 | 0.173 | 0 | 0 | 0
1/29/2026 | 11 | 78376 | 11242 | -11002 | 13826 | 4812 | -4709 | 0.177 | 0 | 0 | 0
1/29/2026 | 12 | 76231 | 11449 | -11115 | 14020 | 4900 | -4757 | 0.185 | 0 | 0 | 0
1/29/2026 | 13 | 74809 | 11367 | -11125 | 13869 | 4865 | -4761 | 0.186 | 0 | 0 | 0
1/29/2026 | 14 | 74653 | 11386 | -11128 | 14126 | 4873 | -4763 | 0.19 | 0 | 0 | 0
1/29/2026 | 15 | 75785 | 11253 | -11127 | 14065 | 4816 | -4762 | 0.186 | 0 | 0 | 0
1/29/2026 | 16 | 78570 | 11285 | -11069 | 15313 | 4830 | -4738 | 0.196 | 0 | 0 | 0
1/29/2026 | 17 | 83515 | 13194 | -12907 | 18651 | 5647 | -5524 | 0.224 | 463 | 0 | 0
1/29/2026 | 18 | 88104 | 13893 | -13433 | 19800 | 5947 | -5749 | 0.226 | 640 | 0 | 0
1/29/2026 | 19 | 88637 | 14295 | -13648 | 20331 | 6118 | -5841 | 0.231 | 674 | 0 | 0
1/29/2026 | 20 | 87251 | 13964 | -13286 | 20065 | 5977 | -5686 | 0.232 | 568 | 0 | 0
1/29/2026 | 21 | 85179 | 13616 | -12930 | 20058 | 5828 | -5534 | 0.237 | 575 | 0 | 0
1/29/2026 | 22 | 81754 | 13582 | -12540 | 19822 | 5813 | -5367 | 0.245 | 864 | 0 | 0
1/29/2026 | 23 | 76501 | 15644 | -13725 | 19729 | 6696 | -5874 | 0.262 | 791 | 0 | 0
1/29/2026 | 24 | 72571 | 16036 | -13688 | 19056 | 6863 | -5859 | 0.268 | 750 | 6 | 0.008
1/30/2026 | 1 | 70353 | 15762 | -13308 | 18318 | 6746 | -5696 | 0.266 | 700 | 65 | 0.093
1/30/2026 | 2 | 68460 | 15861 | -13428 | 17911 | 6789 | -5747 | 0.267 | 910 | 146 | 0.16
1/30/2026 | 3 | 67824 | 15913 | -13565 | 17596 | 6811 | -5806 | 0.265 | 638 | 51 | 0.08
1/30/2026 | 4 | 68377 | 15836 | -13621 | 17700 | 6778 | -5830 | 0.264 | 578 | 8 | 0.014
1/30/2026 | 5 | 71016 | 15674 | -13565 | 17974 | 6708 | -5806 | 0.258 | 225 | 0 | 0
1/30/2026 | 6 | 75978 | 16346 | -14234 | 18117 | 6996 | -6092 | 0.244 | 708 | 0 | 0
1/30/2026 | 7 | 82332 | 14245 | -12348 | 19508 | 6097 | -5285 | 0.241 | 1156 | 44 | 0.038
1/30/2026 | 8 | 85204 | 13744 | -12439 | 18991 | 5882 | -5324 | 0.226 | 1479 | 287 | 0.194
1/30/2026 | 9 | 82854 | 11905 | -11304 | 15527 | 5095 | -4838 | 0.189 | 573 | 108 | 0.188
1/30/2026 | 10 | 80636 | 10991 | -10456 | 14375 | 4705 | -4475 | 0.18 | 117 | 0 | 0
1/30/2026 | 11 | 78132 | 10767 | -10139 | 13532 | 4608 | -4340 | 0.175 | 0 | 0 | 0
1/30/2026 | 12 | 75452 | 11130 | -9974 | 13275 | 4764 | -4269 | 0.18 | 0 | 0 | 0
1/30/2026 | 13 | 74538 | 11258 | -10242 | 12995 | 4818 | -4383 | 0.178 | 0 | 0 | 0
1/30/2026 | 14 | 74461 | 11499 | -10247 | 13169 | 4921 | -4385 | 0.181 | 21 | 0 | 0
1/30/2026 | 15 | 75751 | 11423 | -10193 | 13210 | 4889 | -4363 | 0.178 | 80 | 0 | 0
1/30/2026 | 16 | 78566 | 10747 | -9618 | 14340 | 4600 | -4116 | 0.186 | 29 | 0 | 0
1/30/2026 | 17 | 82218 | 14178 | -12604 | 17076 | 6068 | -5394 | 0.212 | 779 | 0 | 0
1/30/2026 | 18 | 85050 | 15650 | -13787 | 17569 | 6698 | -5900 | 0.211 | 1415 | 196 | 0.139
1/30/2026 | 19 | 84974 | 16294 | -14473 | 17354 | 6974 | -6195 | 0.209 | 1113 | 140 | 0.126
1/30/2026 | 20 | 82876 | 16247 | -14501 | 17124 | 6954 | -6207 | 0.211 | 1312 | 187 | 0.143
1/30/2026 | 21 | 80765 | 15666 | -13902 | 17023 | 6705 | -5950 | 0.215 | 1291 | 181 | 0.14
1/30/2026 | 22 | 77989 | 15703 | -13562 | 16894 | 6721 | -5804 | 0.222 | 1360 | 252 | 0.185
1/30/2026 | 23 | 74521 | 16604 | -13910 | 16508 | 7106 | -5953 | 0.229 | 1169 | 181 | 0.155
1/30/2026 | 24 | 71073 | 16707 | -14061 | 16157 | 7151 | -6018 | 0.235 | 859 | 83 | 0.097
1/31/2026 | 1 | 68776 | 16127 | -13474 | 16191 | 6902 | -5767 | 0.243 | 1733 | 406 | 0.234
1/31/2026 | 2 | 67083 | 16100 | -13415 | 15648 | 6891 | -5742 | 0.241 | 1700 | 391 | 0.23
1/31/2026 | 3 | 65686 | 16643 | -13829 | 15522 | 7123 | -5919 | 0.244 | 1703 | 397 | 0.233
1/31/2026 | 4 | 65332 | 16537 | -13572 | 15594 | 7078 | -5809 | 0.247 | 1388 | 301 | 0.217
1/31/2026 | 5 | 66275 | 16378 | -13388 | 15435 | 7010 | -5730 | 0.241 | 1088 | 217 | 0.199
1/31/2026 | 6 | 68538 | 17056 | -13978 | 15148 | 7300 | -5982 | 0.23 | 1066 | 196 | 0.184
1/31/2026 | 7 | 72214 | 15541 | -13046 | 15650 | 6652 | -5584 | 0.224 | 807 | 43 | 0.053
1/31/2026 | 8 | 74007 | 14765 | -12559 | 14764 | 6320 | -5375 | 0.206 | 701 | 0 | 0
1/31/2026 | 9 | 74070 | 11471 | -10036 | 11753 | 4910 | -4295 | 0.164 | 274 | 0 | 0
1/31/2026 | 10 | 73613 | 10654 | -9738 | 10612 | 4560 | -4168 | 0.148 | 0 | 0 | 0
1/31/2026 | 11 | 70992 | 10609 | -9682 | 10016 | 4540 | -4144 | 0.145 | 0 | 0 | 0
1/31/2026 | 12 | 69208 | 10655 | -9957 | 9933 | 4560 | -4261 | 0.146 | 0 | 0 | 0
1/31/2026 | 13 | 68216 | 10373 | -10000 | 9727 | 4440 | -4280 | 0.144 | 0 | 0 | 0
1/31/2026 | 14 | 68126 | 10289 | -9983 | 9844 | 4404 | -4273 | 0.146 | 0 | 0 | 0
1/31/2026 | 15 | 70026 | 9968 | -10015 | 10048 | 4267 | -4287 | 0.143 | 0 | 0 | 0
1/31/2026 | 16 | 73647 | 10216 | -10372 | 11783 | 4372 | -4440 | 0.159 | 0 | 0 | 0
1/31/2026 | 17 | 77497 | 13522 | -12989 | 15262 | 5788 | -5559 | 0.199 | 396 | 0 | 0
1/31/2026 | 18 | 80871 | 14090 | -13206 | 16123 | 6030 | -5652 | 0.202 | 979 | 0 | 0
1/31/2026 | 19 | 81156 | 14195 | -13191 | 16615 | 6076 | -5646 | 0.207 | 1459 | 140 | 0.096
1/31/2026 | 20 | 79566 | 14079 | -12958 | 16460 | 6026 | -5546 | 0.21 | 1714 | 251 | 0.146
1/31/2026 | 21 | 78577 | 13522 | -12722 | 16383 | 5787 | -5445 | 0.211 | 1151 | 61 | 0.053
1/31/2026 | 22 | 76540 | 13418 | -12646 | 16233 | 5743 | -5412 | 0.214 | 1391 | 149 | 0.107
1/31/2026 | 23 | 73633 | 14720 | -13570 | 16017 | 6300 | -5808 | 0.221 | 901 | 83 | 0.092
1/31/2026 | 24 | 70508 | 14823 | -13492 | 15934 | 6344 | -5774 | 0.23 | 823 | 111 | 0.135