## KEY
Average Emissions Rate Calculation
Background:
The CAISO is publishing this metric of an average emissions rate (AER) based on the discussion in the GHG working groups. CAISO discussed the metric at the November 27, 2023 GHG Coordination Working Group. A brief explanation of the methodology is included below:
Methodology:
1) Which resources are reflected in this example AER metric (all schedules are from the 5-minute market)
- All supply resources are included
- All demand response resources are excluded
- All energy storage resources are included (emissions rate used is 0 MTCO2e/MWh)
- Resources that were attributed to serve California are included
2) The AER measures all schedules ie. The total dispatach of the resources and not relative to WEIM base schedule
3) Bilateral transactions are included (emissions rate used is 0.428 MTCO2e/MWh) unless they are resource specific.
4) CAISO filled in missing heat rate and emissions rate data by using wtd averages from existing data
Key
TRADE_DT | Trade date of the reported data in MM/DD/YYYY format
TRADE_HR | Trade hour of the reported data. Data is reported as the "hour-ending", e.g. TRADE_HR = 2 is for the hour-ending 1:59:59AM Pacific time
GEN_MWH | MWh of electricity generation in the WEIM area* (including CAISO)
IMP_MWH | MWh of electricity imports into the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
EXP_MWH | MWh of electricity exports from the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
GEN_GHG | Greenhouse gas emissions in MTCO2e of electricity generation in the WEIM area
IMP_GHG | Greenhouse gas emissions in MTCO2e of electricity imports into the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
EXP_GHG | Greenhouse gas emissions in MTCO2e of electricity exports from the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
AVG_EM_RATE | Average emissions rate calculated as columns G through I divided by columns C through E
ATTR_MWH | MWh of WEIM transfers into California which, by definition, is equal to the sum of the GHG attributions
ATTR_GHG | Greenhouse gas emissions in MTCO2e of WEIM transfers into California (resource-specific)
ATTR_AVG_EM_RATE | Average emissions rate of WEIM transfers into California
CAISO PUBLIC

## AER_SUMMARY
TRADE_DT | TRADE_HR | GEN_MWH | IMP_MWH | EXP_MWH | GEN_GHG | IMP_GHG | EXP_GHG | AVG_EM_RATE | ATTR_MWH | ATTR_GHG | ATTR_AVG_EM_RATE
7/1/2024 | 1 | 78600 | 16684 | -14635 | 20650 | 7141 | -6264 | 0.267 | 1384 | 200 | 0.145
7/1/2024 | 2 | 74162 | 16735 | -14600 | 19520 | 7163 | -6249 | 0.268 | 1395 | 273 | 0.196
7/1/2024 | 3 | 71239 | 16768 | -14604 | 18641 | 7177 | -6251 | 0.267 | 1078 | 175 | 0.162
7/1/2024 | 4 | 69685 | 16646 | -14597 | 18230 | 7125 | -6248 | 0.266 | 1231 | 264 | 0.214
7/1/2024 | 5 | 69829 | 17215 | -14858 | 18567 | 7368 | -6359 | 0.271 | 837 | 125 | 0.149
7/1/2024 | 6 | 71944 | 17453 | -14908 | 19022 | 7470 | -6381 | 0.27 | 1201 | 124 | 0.103
7/1/2024 | 7 | 76149 | 19469 | -17628 | 18375 | 8333 | -7545 | 0.246 | 1092 | 117 | 0.107
7/1/2024 | 8 | 80198 | 18836 | -17084 | 16912 | 8062 | -7312 | 0.216 | 313 | 3 | 0.01
7/1/2024 | 9 | 82882 | 18047 | -16694 | 16691 | 7724 | -7145 | 0.205 | 308 | 0 | 0
7/1/2024 | 10 | 85336 | 18669 | -17206 | 16649 | 7991 | -7364 | 0.199 | 21 | 0 | 0
7/1/2024 | 11 | 88150 | 18702 | -17315 | 16811 | 8004 | -7411 | 0.194 | 0 | 0 | 0
7/1/2024 | 12 | 91815 | 18695 | -17365 | 17397 | 8002 | -7432 | 0.193 | 0 | 0 | 0
7/1/2024 | 13 | 95928 | 19322 | -17910 | 18107 | 8270 | -7665 | 0.192 | 0 | 0 | 0
7/1/2024 | 14 | 100217 | 19873 | -18603 | 18850 | 8505 | -7962 | 0.191 | 0 | 0 | 0
7/1/2024 | 15 | 104256 | 22017 | -20559 | 20242 | 9423 | -8799 | 0.197 | 0 | 0 | 0
7/1/2024 | 16 | 107753 | 21967 | -20575 | 21260 | 9402 | -8806 | 0.2 | 0 | 0 | 0
7/1/2024 | 17 | 110783 | 22435 | -21520 | 22383 | 9602 | -9211 | 0.204 | 18 | 0 | 0
7/1/2024 | 18 | 113209 | 23128 | -21867 | 23272 | 9899 | -9359 | 0.208 | 146 | 0 | 0
7/1/2024 | 19 | 113086 | 23156 | -21681 | 25181 | 9911 | -9279 | 0.225 | 577 | 3 | 0.005
7/1/2024 | 20 | 111061 | 23888 | -22411 | 28400 | 10224 | -9592 | 0.258 | 471 | 0 | 0
7/1/2024 | 21 | 106737 | 23711 | -21834 | 28810 | 10148 | -9345 | 0.273 | 590 | 38 | 0.064
7/1/2024 | 22 | 101718 | 22599 | -20775 | 27355 | 9673 | -8892 | 0.272 | 1072 | 194 | 0.181
7/1/2024 | 23 | 94753 | 17825 | -16864 | 25702 | 7629 | -7218 | 0.273 | 929 | 91 | 0.098
7/1/2024 | 24 | 87085 | 16567 | -15301 | 23348 | 7091 | -6549 | 0.27 | 1183 | 142 | 0.12
7/2/2024 | 1 | 81297 | 16854 | -14916 | 22390 | 7214 | -6384 | 0.279 | 927 | 62 | 0.067
7/2/2024 | 2 | 76982 | 16818 | -14797 | 21570 | 7198 | -6333 | 0.284 | 853 | 109 | 0.128
7/2/2024 | 3 | 73736 | 17076 | -14940 | 20743 | 7308 | -6394 | 0.285 | 1042 | 185 | 0.178
7/2/2024 | 4 | 71693 | 17744 | -15214 | 19753 | 7595 | -6512 | 0.281 | 860 | 145 | 0.169
7/2/2024 | 5 | 71971 | 18035 | -15264 | 19862 | 7719 | -6533 | 0.282 | 888 | 164 | 0.185
7/2/2024 | 6 | 73740 | 18220 | -15277 | 19690 | 7798 | -6539 | 0.273 | 770 | 88 | 0.114
7/2/2024 | 7 | 77581 | 19909 | -17329 | 18393 | 8521 | -7417 | 0.243 | 1068 | 186 | 0.174
7/2/2024 | 8 | 81549 | 18621 | -16258 | 16780 | 7970 | -6958 | 0.212 | 347 | 6 | 0.017
7/2/2024 | 9 | 84518 | 17718 | -15637 | 17054 | 7584 | -6693 | 0.207 | 79 | 0 | 0
7/2/2024 | 10 | 86533 | 17304 | -15509 | 16543 | 7406 | -6638 | 0.196 | 0 | 0 | 0
7/2/2024 | 11 | 88906 | 17155 | -15347 | 16905 | 7342 | -6568 | 0.195 | 0 | 0 | 0
7/2/2024 | 12 | 93562 | 17607 | -15950 | 18289 | 7536 | -6827 | 0.2 | 0 | 0 | 0
7/2/2024 | 13 | 98144 | 17666 | -16322 | 19231 | 7561 | -6986 | 0.199 | 0 | 0 | 0
7/2/2024 | 14 | 103334 | 18005 | -16733 | 21127 | 7706 | -7162 | 0.207 | 0 | 0 | 0
7/2/2024 | 15 | 107931 | 19956 | -18365 | 22388 | 8541 | -7860 | 0.211 | 324 | 0 | 0
7/2/2024 | 16 | 112053 | 21233 | -19715 | 24762 | 9088 | -8438 | 0.224 | 395 | 0 | 0
7/2/2024 | 17 | 114692 | 22862 | -21070 | 26521 | 9785 | -9018 | 0.234 | 256 | 0 | 0
7/2/2024 | 18 | 117578 | 22854 | -21126 | 28277 | 9782 | -9042 | 0.243 | 840 | 24 | 0.029
7/2/2024 | 19 | 118620 | 23203 | -21810 | 30658 | 9931 | -9335 | 0.26 | 357 | 2 | 0.006
7/2/2024 | 20 | 116359 | 23799 | -22630 | 33291 | 10186 | -9686 | 0.288 | 38 | 0 | 0
7/2/2024 | 21 | 111374 | 23602 | -22050 | 33105 | 10102 | -9437 | 0.299 | 19 | 0 | 0
7/2/2024 | 22 | 105972 | 22282 | -20663 | 31863 | 9537 | -8844 | 0.303 | 900 | 128 | 0.142
7/2/2024 | 23 | 98865 | 19216 | -17500 | 29274 | 8225 | -7490 | 0.298 | 710 | 100 | 0.141
7/2/2024 | 24 | 90131 | 17464 | -15937 | 26994 | 7475 | -6821 | 0.302 | 1782 | 514 | 0.288
7/3/2024 | 1 | 83938 | 16913 | -15405 | 24816 | 7239 | -6593 | 0.298 | 1595 | 456 | 0.286
7/3/2024 | 2 | 79273 | 16981 | -15322 | 23142 | 7268 | -6558 | 0.295 | 1583 | 404 | 0.255
7/3/2024 | 3 | 76039 | 17015 | -15229 | 22301 | 7283 | -6518 | 0.296 | 1506 | 398 | 0.264
7/3/2024 | 4 | 74374 | 16979 | -15132 | 21867 | 7267 | -6476 | 0.297 | 1265 | 298 | 0.236
7/3/2024 | 5 | 74304 | 17014 | -14945 | 22019 | 7282 | -6397 | 0.3 | 966 | 203 | 0.21
7/3/2024 | 6 | 76012 | 17051 | -15069 | 22090 | 7298 | -6449 | 0.294 | 905 | 106 | 0.117
7/3/2024 | 7 | 78702 | 18627 | -17001 | 21305 | 7972 | -7276 | 0.274 | 2299 | 694 | 0.302
7/3/2024 | 8 | 82827 | 17994 | -17008 | 18598 | 7702 | -7280 | 0.227 | 905 | 118 | 0.13
7/3/2024 | 9 | 86664 | 16863 | -15760 | 19012 | 7217 | -6745 | 0.222 | 457 | 7 | 0.015
7/3/2024 | 10 | 89629 | 16823 | -15657 | 19740 | 7200 | -6701 | 0.223 | 274 | 2 | 0.007
7/3/2024 | 11 | 92445 | 16808 | -15517 | 19926 | 7194 | -6641 | 0.218 | 0 | 0 | 0
7/3/2024 | 12 | 97197 | 16843 | -15668 | 20983 | 7209 | -6706 | 0.218 | 320 | 0 | 0
7/3/2024 | 13 | 102170 | 17116 | -16009 | 22574 | 7326 | -6852 | 0.223 | 258 | 0 | 0
7/3/2024 | 14 | 106894 | 18125 | -16777 | 23921 | 7757 | -7181 | 0.226 | 227 | 0 | 0
7/3/2024 | 15 | 111201 | 19392 | -18187 | 24886 | 8300 | -7784 | 0.226 | 107 | 0 | 0
7/3/2024 | 16 | 115425 | 20042 | -18727 | 26361 | 8578 | -8015 | 0.231 | 77 | 0 | 0
7/3/2024 | 17 | 118000 | 21626 | -20256 | 27159 | 9256 | -8670 | 0.232 | 440 | 0 | 0
7/3/2024 | 18 | 120688 | 21200 | -20224 | 28892 | 9073 | -8656 | 0.241 | 52 | 0 | 0
7/3/2024 | 19 | 121050 | 21962 | -20851 | 31275 | 9400 | -8924 | 0.26 | 302 | 0 | 0
7/3/2024 | 20 | 117509 | 23563 | -21958 | 33442 | 10085 | -9398 | 0.287 | 364 | 0 | 0
7/3/2024 | 21 | 112418 | 23589 | -21830 | 32692 | 10096 | -9343 | 0.293 | 409 | 1 | 0.002
7/3/2024 | 22 | 106159 | 21582 | -19707 | 31101 | 9237 | -8434 | 0.295 | 786 | 60 | 0.076
7/3/2024 | 23 | 98885 | 17915 | -15803 | 29783 | 7668 | -6764 | 0.304 | 448 | 0 | 0
7/3/2024 | 24 | 91782 | 15942 | -14061 | 28035 | 6823 | -6018 | 0.308 | 560 | 3 | 0.005
7/4/2024 | 1 | 85903 | 15894 | -14247 | 24656 | 6803 | -6098 | 0.29 | 488 | 4 | 0.008
7/4/2024 | 2 | 80855 | 16039 | -14355 | 23128 | 6865 | -6144 | 0.289 | 432 | 0 | 0
7/4/2024 | 3 | 76879 | 15970 | -14298 | 21646 | 6835 | -6119 | 0.285 | 534 | 3 | 0.006
7/4/2024 | 4 | 74485 | 15477 | -13923 | 20965 | 6624 | -5959 | 0.284 | 574 | 10 | 0.017
7/4/2024 | 5 | 73001 | 15716 | -13936 | 20816 | 6726 | -5965 | 0.289 | 538 | 0 | 0
7/4/2024 | 6 | 72500 | 15742 | -13780 | 20599 | 6737 | -5898 | 0.288 | 484 | 1 | 0.002
7/4/2024 | 7 | 73208 | 15475 | -13778 | 19553 | 6623 | -5897 | 0.271 | 588 | 62 | 0.105
7/4/2024 | 8 | 76510 | 14649 | -13009 | 17501 | 6270 | -5568 | 0.233 | 225 | 1 | 0.004
7/4/2024 | 9 | 79441 | 14107 | -12223 | 16763 | 6038 | -5231 | 0.216 | 0 | 0 | 0
7/4/2024 | 10 | 82935 | 13888 | -12250 | 16732 | 5944 | -5243 | 0.206 | 0 | 0 | 0
7/4/2024 | 11 | 86632 | 13658 | -12123 | 17502 | 5846 | -5188 | 0.206 | 0 | 0 | 0
7/4/2024 | 12 | 91541 | 13092 | -12210 | 18605 | 5603 | -5226 | 0.205 | 0 | 0 | 0
7/4/2024 | 13 | 96531 | 13475 | -12510 | 19727 | 5767 | -5354 | 0.207 | 0 | 0 | 0
7/4/2024 | 14 | 101301 | 13908 | -12822 | 21181 | 5953 | -5488 | 0.211 | 0 | 0 | 0
7/4/2024 | 15 | 105688 | 15214 | -14333 | 22748 | 6512 | -6135 | 0.217 | 18 | 0 | 0
7/4/2024 | 16 | 109758 | 15923 | -15172 | 23924 | 6815 | -6493 | 0.219 | 0 | 0 | 0
7/4/2024 | 17 | 113244 | 17509 | -16548 | 24729 | 7494 | -7083 | 0.22 | 0 | 0 | 0
7/4/2024 | 18 | 115801 | 17471 | -16636 | 25848 | 7478 | -7120 | 0.225 | 232 | 0 | 0
7/4/2024 | 19 | 115970 | 17942 | -17068 | 28834 | 7679 | -7305 | 0.25 | 64 | 0 | 0
7/4/2024 | 20 | 113124 | 19113 | -18114 | 31310 | 8180 | -7753 | 0.278 | 154 | 0 | 0
7/4/2024 | 21 | 107475 | 17786 | -17009 | 30672 | 7612 | -7280 | 0.286 | 361 | 0 | 0
7/4/2024 | 22 | 101374 | 16825 | -15947 | 28631 | 7201 | -6826 | 0.284 | 641 | 16 | 0.025
7/4/2024 | 23 | 95958 | 14162 | -13272 | 28395 | 6062 | -5680 | 0.297 | 153 | 0 | 0
7/4/2024 | 24 | 89784 | 13548 | -12494 | 26778 | 5798 | -5347 | 0.3 | 370 | 23 | 0.062
7/5/2024 | 1 | 83850 | 14833 | -13394 | 25042 | 6348 | -5733 | 0.301 | 415 | 3 | 0.007
7/5/2024 | 2 | 78649 | 14950 | -13400 | 23557 | 6398 | -5735 | 0.302 | 299 | 34 | 0.114
7/5/2024 | 3 | 74803 | 14937 | -13448 | 22297 | 6393 | -5756 | 0.301 | 370 | 1 | 0.003
7/5/2024 | 4 | 72385 | 15081 | -13407 | 21492 | 6455 | -5738 | 0.3 | 263 | 0 | 0
7/5/2024 | 5 | 71823 | 14781 | -13109 | 21499 | 6326 | -5611 | 0.302 | 220 | 0 | 0
7/5/2024 | 6 | 71800 | 15226 | -13136 | 21085 | 6517 | -5622 | 0.297 | 232 | 0 | 0
7/5/2024 | 7 | 74208 | 19656 | -17466 | 19307 | 8413 | -7475 | 0.265 | 193 | 14 | 0.073
7/5/2024 | 8 | 78461 | 18997 | -17080 | 18017 | 8131 | -7310 | 0.234 | 33 | 0 | 0
7/5/2024 | 9 | 82224 | 18850 | -17002 | 17916 | 8068 | -7277 | 0.223 | 0 | 0 | 0
7/5/2024 | 10 | 86267 | 18180 | -16365 | 18110 | 7781 | -7004 | 0.214 | 0 | 0 | 0
7/5/2024 | 11 | 91035 | 18183 | -16328 | 19096 | 7782 | -6989 | 0.214 | 0 | 0 | 0
7/5/2024 | 12 | 96298 | 18095 | -16351 | 20355 | 7745 | -6998 | 0.215 | 0 | 0 | 0
7/5/2024 | 13 | 103270 | 18091 | -16941 | 22286 | 7743 | -7251 | 0.218 | 0 | 0 | 0
7/5/2024 | 14 | 109269 | 18658 | -17175 | 24203 | 7986 | -7351 | 0.224 | 0 | 0 | 0
7/5/2024 | 15 | 115018 | 19994 | -18556 | 26451 | 8557 | -7942 | 0.232 | 0 | 0 | 0
7/5/2024 | 16 | 120307 | 20252 | -18993 | 28230 | 8668 | -8129 | 0.237 | 117 | 1 | 0.009
7/5/2024 | 17 | 122584 | 22398 | -20991 | 28099 | 9586 | -8984 | 0.231 | 377 | 1 | 0.003
7/5/2024 | 18 | 125744 | 22969 | -21994 | 30146 | 9831 | -9414 | 0.241 | 485 | 0 | 0
7/5/2024 | 19 | 126110 | 23027 | -22057 | 32003 | 9855 | -9440 | 0.255 | 389 | 0 | 0
7/5/2024 | 20 | 122491 | 23503 | -22021 | 34643 | 10059 | -9425 | 0.285 | 1046 | 172 | 0.164
7/5/2024 | 21 | 116630 | 23107 | -21756 | 33780 | 9890 | -9311 | 0.291 | 1447 | 343 | 0.237
7/5/2024 | 22 | 109849 | 21615 | -20080 | 31201 | 9251 | -8594 | 0.286 | 1927 | 543 | 0.282
7/5/2024 | 23 | 102042 | 15213 | -13733 | 29930 | 6511 | -5878 | 0.295 | 663 | 75 | 0.113
7/5/2024 | 24 | 93609 | 15488 | -14045 | 27393 | 6629 | -6011 | 0.295 | 906 | 243 | 0.268
7/6/2024 | 1 | 86448 | 15129 | -13303 | 25067 | 6475 | -5694 | 0.293 | 1560 | 470 | 0.301
7/6/2024 | 2 | 80571 | 14361 | -12131 | 24261 | 6147 | -5192 | 0.305 | 1553 | 465 | 0.299
7/6/2024 | 3 | 76324 | 13720 | -11509 | 23442 | 5872 | -4926 | 0.311 | 1837 | 550 | 0.299
7/6/2024 | 4 | 73539 | 13745 | -11516 | 22442 | 5883 | -4929 | 0.309 | 1966 | 593 | 0.302
7/6/2024 | 5 | 71890 | 13885 | -11623 | 21840 | 5943 | -4975 | 0.308 | 1522 | 418 | 0.275
7/6/2024 | 6 | 70787 | 14405 | -11788 | 22033 | 6165 | -5045 | 0.315 | 1533 | 419 | 0.273
7/6/2024 | 7 | 71246 | 19205 | -16458 | 20121 | 8220 | -7044 | 0.288 | 1995 | 635 | 0.318
7/6/2024 | 8 | 74486 | 18469 | -16026 | 17875 | 7905 | -6859 | 0.246 | 1219 | 343 | 0.281
7/6/2024 | 9 | 77908 | 18294 | -15477 | 17447 | 7830 | -6624 | 0.231 | 429 | 13 | 0.03
7/6/2024 | 10 | 82222 | 18001 | -14977 | 17845 | 7704 | -6410 | 0.225 | 277 | 0 | 0
7/6/2024 | 11 | 87710 | 17514 | -14970 | 18426 | 7496 | -6407 | 0.216 | 88 | 0 | 0
7/6/2024 | 12 | 92819 | 17441 | -15155 | 18807 | 7465 | -6486 | 0.208 | 0 | 0 | 0
7/6/2024 | 13 | 98657 | 17967 | -15854 | 20477 | 7690 | -6785 | 0.212 | 0 | 0 | 0
7/6/2024 | 14 | 104237 | 18725 | -16325 | 22420 | 8014 | -6987 | 0.22 | 196 | 0 | 0
7/6/2024 | 15 | 110168 | 20250 | -17983 | 24281 | 8667 | -7697 | 0.225 | 310 | 0 | 0
7/6/2024 | 16 | 115721 | 20722 | -18712 | 25918 | 8869 | -8009 | 0.227 | 538 | 24 | 0.045
7/6/2024 | 17 | 120378 | 22991 | -20856 | 26832 | 9840 | -8927 | 0.226 | 526 | 22 | 0.042
7/6/2024 | 18 | 123198 | 23282 | -21223 | 29007 | 9965 | -9084 | 0.239 | 436 | 0 | 0
7/6/2024 | 19 | 124090 | 23126 | -21353 | 31571 | 9898 | -9139 | 0.257 | 554 | 41 | 0.074
7/6/2024 | 20 | 121238 | 23298 | -21614 | 34052 | 9971 | -9251 | 0.283 | 697 | 53 | 0.076
7/6/2024 | 21 | 115380 | 23130 | -21315 | 33801 | 9899 | -9123 | 0.295 | 726 | 84 | 0.116
7/6/2024 | 22 | 109441 | 22142 | -19941 | 32694 | 9477 | -8535 | 0.301 | 1559 | 432 | 0.277
7/6/2024 | 23 | 102235 | 13956 | -12222 | 31597 | 5973 | -5231 | 0.311 | 886 | 166 | 0.187
7/6/2024 | 24 | 94801 | 12924 | -11233 | 29572 | 5531 | -4808 | 0.314 | 1405 | 376 | 0.268
7/7/2024 | 1 | 88183 | 13555 | -12162 | 27393 | 5801 | -5205 | 0.312 | 351 | 17 | 0.048
7/7/2024 | 2 | 82335 | 13831 | -12241 | 25039 | 5920 | -5239 | 0.306 | 1007 | 25 | 0.025
7/7/2024 | 3 | 78176 | 13674 | -12190 | 23454 | 5852 | -5217 | 0.302 | 1108 | 50 | 0.045
7/7/2024 | 4 | 75496 | 13658 | -12209 | 22161 | 5846 | -5225 | 0.296 | 1282 | 93 | 0.073
7/7/2024 | 5 | 73427 | 13517 | -11970 | 21347 | 5785 | -5123 | 0.294 | 1216 | 56 | 0.046
7/7/2024 | 6 | 71797 | 13768 | -12027 | 20788 | 5893 | -5148 | 0.293 | 1164 | 33 | 0.028
7/7/2024 | 7 | 71851 | 14264 | -12362 | 18936 | 6105 | -5291 | 0.268 | 750 | 95 | 0.127
7/7/2024 | 8 | 74817 | 13036 | -11377 | 16953 | 5579 | -4869 | 0.231 | 448 | 21 | 0.047
7/7/2024 | 9 | 78672 | 12926 | -11146 | 16921 | 5533 | -4770 | 0.22 | 379 | 1 | 0.003
7/7/2024 | 10 | 82993 | 12405 | -10742 | 17608 | 5309 | -4598 | 0.216 | 281 | 0 | 0
7/7/2024 | 11 | 87943 | 12104 | -10470 | 18445 | 5180 | -4481 | 0.214 | 19 | 0 | 0
7/7/2024 | 12 | 93913 | 11968 | -10507 | 19941 | 5122 | -4497 | 0.216 | 14 | 0 | 0
7/7/2024 | 13 | 100136 | 12301 | -10975 | 21395 | 5265 | -4697 | 0.216 | 152 | 0 | 0
7/7/2024 | 14 | 106003 | 12781 | -11248 | 23009 | 5470 | -4814 | 0.22 | 0 | 0 | 0
7/7/2024 | 15 | 110728 | 14555 | -12956 | 24771 | 6230 | -5545 | 0.227 | 2 | 0 | 0
7/7/2024 | 16 | 115771 | 15453 | -13775 | 26905 | 6614 | -5896 | 0.235 | 112 | 0 | 0
7/7/2024 | 17 | 120265 | 16922 | -15063 | 28456 | 7242 | -6447 | 0.24 | 73 | 0 | 0
7/7/2024 | 18 | 124225 | 16957 | -15012 | 30942 | 7258 | -6425 | 0.252 | 111 | 0 | 0
7/7/2024 | 19 | 124694 | 17082 | -14928 | 32948 | 7311 | -6389 | 0.267 | 213 | 0 | 0
7/7/2024 | 20 | 122066 | 16998 | -15047 | 34725 | 7275 | -6440 | 0.287 | 728 | 64 | 0.088
7/7/2024 | 21 | 116903 | 16427 | -14898 | 34796 | 7031 | -6376 | 0.299 | 869 | 133 | 0.153
7/7/2024 | 22 | 110781 | 15951 | -14120 | 32723 | 6827 | -6043 | 0.298 | 1014 | 204 | 0.201
7/7/2024 | 23 | 102869 | 13542 | -11816 | 31413 | 5796 | -5057 | 0.307 | 413 | 1 | 0.002
7/7/2024 | 24 | 94238 | 13368 | -11692 | 29181 | 5721 | -5004 | 0.312 | 599 | 55 | 0.092
7/8/2024 | 1 | 86918 | 14224 | -12446 | 26797 | 6088 | -5327 | 0.311 | 465 | 48 | 0.103
7/8/2024 | 2 | 81614 | 14448 | -12492 | 24919 | 6184 | -5347 | 0.308 | 503 | 82 | 0.163
7/8/2024 | 3 | 77842 | 14436 | -12447 | 24072 | 6178 | -5327 | 0.312 | 550 | 79 | 0.144
7/8/2024 | 4 | 75641 | 13840 | -11936 | 23708 | 5923 | -5109 | 0.316 | 520 | 60 | 0.115
7/8/2024 | 5 | 75461 | 13569 | -11749 | 23528 | 5807 | -5029 | 0.315 | 466 | 38 | 0.082
7/8/2024 | 6 | 77186 | 14033 | -12272 | 24151 | 6006 | -5253 | 0.315 | 432 | 1 | 0.002
7/8/2024 | 7 | 80770 | 20680 | -19115 | 22956 | 8851 | -8181 | 0.287 | 1013 | 258 | 0.255
7/8/2024 | 8 | 86156 | 20029 | -18560 | 21594 | 8572 | -7944 | 0.254 | 522 | 58 | 0.111
7/8/2024 | 9 | 90145 | 19934 | -18413 | 21826 | 8532 | -7881 | 0.245 | 449 | 12 | 0.027
7/8/2024 | 10 | 94207 | 20134 | -18749 | 22581 | 8617 | -8025 | 0.242 | 220 | 3 | 0.014
7/8/2024 | 11 | 98588 | 20233 | -18848 | 23709 | 8660 | -8067 | 0.243 | 227 | 0 | 0
7/8/2024 | 12 | 104172 | 19892 | -18975 | 25390 | 8514 | -8121 | 0.245 | 0 | 0 | 0
7/8/2024 | 13 | 110389 | 20529 | -19864 | 26994 | 8787 | -8502 | 0.246 | 140 | 0 | 0
7/8/2024 | 14 | 116507 | 21256 | -20348 | 28513 | 9098 | -8709 | 0.246 | 19 | 0 | 0
7/8/2024 | 15 | 122015 | 23492 | -22653 | 29540 | 10054 | -9695 | 0.243 | 156 | 0 | 0
7/8/2024 | 16 | 125967 | 24102 | -23297 | 30715 | 10316 | -9971 | 0.245 | 30 | 0 | 0
7/8/2024 | 17 | 129309 | 25609 | -24677 | 31906 | 10961 | -10562 | 0.248 | 537 | 13 | 0.024
7/8/2024 | 18 | 132126 | 25454 | -24644 | 33834 | 10894 | -10548 | 0.257 | 514 | 0 | 0
7/8/2024 | 19 | 132060 | 26522 | -25435 | 36288 | 11351 | -10886 | 0.276 | 571 | 8 | 0.014
7/8/2024 | 20 | 127578 | 26631 | -25356 | 37922 | 11398 | -10852 | 0.299 | 479 | 38 | 0.079
7/8/2024 | 21 | 121482 | 26414 | -25433 | 37274 | 11305 | -10885 | 0.308 | 786 | 109 | 0.139
7/8/2024 | 22 | 114775 | 24139 | -22980 | 35486 | 10332 | -9835 | 0.31 | 1744 | 445 | 0.255
7/8/2024 | 23 | 105931 | 13404 | -11892 | 33645 | 5737 | -5090 | 0.319 | 679 | 105 | 0.155
7/8/2024 | 24 | 96627 | 12392 | -10594 | 31253 | 5304 | -4534 | 0.325 | 1146 | 398 | 0.347
7/9/2024 | 1 | 89795 | 11187 | -9467 | 30024 | 4788 | -4052 | 0.336 | 333 | 35 | 0.105
7/9/2024 | 2 | 83911 | 10210 | -8343 | 28804 | 4370 | -3571 | 0.345 | 333 | 1 | 0.003
7/9/2024 | 3 | 79846 | 10004 | -7921 | 27748 | 4282 | -3390 | 0.35 | 277 | 0 | 0
7/9/2024 | 4 | 77622 | 9687 | -8171 | 27264 | 4146 | -3497 | 0.353 | 242 | 2 | 0.008
7/9/2024 | 5 | 76914 | 10378 | -8624 | 26619 | 4442 | -3691 | 0.348 | 237 | 0 | 0
7/9/2024 | 6 | 78437 | 10705 | -8885 | 26861 | 4582 | -3803 | 0.344 | 248 | 5 | 0.02
7/9/2024 | 7 | 82318 | 19840 | -18377 | 24782 | 8491 | -7865 | 0.303 | 1331 | 354 | 0.266
7/9/2024 | 8 | 87047 | 19604 | -18503 | 23078 | 8390 | -7919 | 0.267 | 854 | 169 | 0.198
7/9/2024 | 9 | 91364 | 19763 | -18883 | 22629 | 8459 | -8082 | 0.249 | 648 | 119 | 0.184
7/9/2024 | 10 | 95279 | 19200 | -18447 | 23379 | 8218 | -7895 | 0.247 | 192 | 7 | 0.036
7/9/2024 | 11 | 99961 | 19641 | -18976 | 24634 | 8406 | -8122 | 0.248 | 165 | 0 | 0
7/9/2024 | 12 | 105462 | 19757 | -19320 | 25928 | 8456 | -8269 | 0.247 | 0 | 0 | 0
7/9/2024 | 13 | 111766 | 20680 | -20411 | 27507 | 8851 | -8736 | 0.247 | 7 | 0 | 0
7/9/2024 | 14 | 117956 | 21404 | -21356 | 28725 | 9161 | -9140 | 0.244 | 0 | 0 | 0
7/9/2024 | 15 | 123628 | 23096 | -22958 | 29984 | 9885 | -9826 | 0.243 | 0 | 0 | 0
7/9/2024 | 16 | 127903 | 23857 | -23442 | 31405 | 10211 | -10033 | 0.246 | 34 | 0 | 0
7/9/2024 | 17 | 131667 | 25102 | -24847 | 33430 | 10744 | -10634 | 0.254 | 176 | 0 | 0
7/9/2024 | 18 | 134380 | 25906 | -25736 | 35099 | 11088 | -11015 | 0.261 | 364 | 7 | 0.019
7/9/2024 | 19 | 133203 | 25744 | -25091 | 37198 | 11018 | -10739 | 0.28 | 404 | 0 | 0
7/9/2024 | 20 | 128165 | 25243 | -24240 | 38585 | 10804 | -10375 | 0.302 | 865 | 209 | 0.242
7/9/2024 | 21 | 123027 | 24550 | -23719 | 37788 | 10508 | -10152 | 0.308 | 1195 | 216 | 0.181
7/9/2024 | 22 | 116225 | 22989 | -21718 | 35964 | 9839 | -9295 | 0.311 | 1003 | 202 | 0.201
7/9/2024 | 23 | 106971 | 12916 | -11425 | 34146 | 5528 | -4890 | 0.321 | 771 | 81 | 0.105
7/9/2024 | 24 | 82188 | 10013 | -8748 | 26487 | 4286 | -3744 | 0.324 | 914 | 214 | 0.234
7/10/2024 | 1 | 91670 | 12510 | -11201 | 30440 | 5354 | -4794 | 0.333 | 403 | 0 | 0
7/10/2024 | 2 | 86173 | 12084 | -10572 | 29012 | 5172 | -4525 | 0.338 | 410 | 8 | 0.02
7/10/2024 | 3 | 81110 | 12299 | -10157 | 27133 | 5264 | -4347 | 0.337 | 364 | 20 | 0.055
7/10/2024 | 4 | 78508 | 11958 | -9689 | 26759 | 5118 | -4147 | 0.343 | 405 | 37 | 0.091
7/10/2024 | 5 | 77735 | 12522 | -10126 | 26498 | 5359 | -4334 | 0.343 | 360 | 26 | 0.072
7/10/2024 | 6 | 79418 | 12870 | -10625 | 27073 | 5508 | -4548 | 0.343 | 677 | 115 | 0.17
7/10/2024 | 7 | 82244 | 19686 | -17396 | 25381 | 8426 | -7445 | 0.312 | 1418 | 375 | 0.264
7/10/2024 | 8 | 86640 | 19224 | -17225 | 23478 | 8228 | -7372 | 0.275 | 926 | 227 | 0.245
7/10/2024 | 9 | 90892 | 19282 | -17562 | 22649 | 8253 | -7516 | 0.253 | 284 | 25 | 0.088
7/10/2024 | 10 | 95635 | 19826 | -18577 | 23606 | 8485 | -7951 | 0.249 | 153 | 0 | 0
7/10/2024 | 11 | 100180 | 19338 | -18211 | 24960 | 8277 | -7794 | 0.251 | 5 | 0 | 0
7/10/2024 | 12 | 106481 | 19636 | -19248 | 26244 | 8404 | -8238 | 0.247 | 0 | 0 | 0
7/10/2024 | 13 | 112525 | 19525 | -19431 | 27427 | 8357 | -8316 | 0.244 | 0 | 0 | 0
7/10/2024 | 14 | 118734 | 20425 | -20289 | 28881 | 8742 | -8684 | 0.243 | 0 | 0 | 0
7/10/2024 | 15 | 125226 | 22094 | -22101 | 30467 | 9456 | -9459 | 0.243 | 0 | 0 | 0
7/10/2024 | 16 | 130729 | 23079 | -23591 | 32295 | 9878 | -10097 | 0.246 | 0 | 0 | 0
7/10/2024 | 17 | 133870 | 24374 | -23902 | 34159 | 10432 | -10230 | 0.256 | 83 | 0 | 0
7/10/2024 | 18 | 136154 | 25187 | -24971 | 35747 | 10780 | -10688 | 0.263 | 471 | 0 | 0
7/10/2024 | 19 | 134606 | 25251 | -24301 | 37644 | 10807 | -10401 | 0.281 | 779 | 130 | 0.167
7/10/2024 | 20 | 130472 | 24609 | -23475 | 39319 | 10533 | -10047 | 0.302 | 1120 | 303 | 0.271
7/10/2024 | 21 | 124267 | 24271 | -22735 | 38759 | 10388 | -9731 | 0.313 | 966 | 240 | 0.248
7/10/2024 | 22 | 117224 | 23124 | -21527 | 36893 | 9897 | -9213 | 0.316 | 1496 | 476 | 0.318
7/10/2024 | 23 | 108378 | 16335 | -15041 | 35695 | 6991 | -6437 | 0.331 | 586 | 107 | 0.183
7/10/2024 | 24 | 98465 | 14644 | -12846 | 32921 | 6268 | -5498 | 0.336 | 653 | 137 | 0.21
7/11/2024 | 1 | 91383 | 14805 | -13046 | 31040 | 6337 | -5584 | 0.341 | 560 | 114 | 0.204
7/11/2024 | 2 | 85603 | 14519 | -12541 | 29178 | 6214 | -5368 | 0.343 | 605 | 154 | 0.255
7/11/2024 | 3 | 81418 | 14234 | -12303 | 27949 | 6092 | -5266 | 0.345 | 313 | 30 | 0.096
7/11/2024 | 4 | 79179 | 13743 | -11889 | 27232 | 5882 | -5089 | 0.346 | 640 | 135 | 0.211
7/11/2024 | 5 | 78729 | 13468 | -11734 | 26835 | 5764 | -5022 | 0.343 | 925 | 219 | 0.237
7/11/2024 | 6 | 79955 | 14235 | -12284 | 26646 | 6092 | -5258 | 0.336 | 640 | 129 | 0.202
7/11/2024 | 7 | 83731 | 21079 | -19491 | 24549 | 9022 | -8342 | 0.296 | 1580 | 478 | 0.303
7/11/2024 | 8 | 88611 | 20553 | -19095 | 23533 | 8797 | -8172 | 0.268 | 907 | 201 | 0.222
7/11/2024 | 9 | 92124 | 20093 | -18761 | 23197 | 8600 | -8030 | 0.254 | 440 | 15 | 0.034
7/11/2024 | 10 | 97178 | 19558 | -18883 | 24194 | 8371 | -8082 | 0.25 | 361 | 5 | 0.014
7/11/2024 | 11 | 101130 | 19174 | -18652 | 25385 | 8206 | -7983 | 0.252 | 41 | 0 | 0
7/11/2024 | 12 | 107333 | 19382 | -19131 | 27090 | 8295 | -8188 | 0.253 | 0 | 0 | 0
7/11/2024 | 13 | 113261 | 20259 | -20175 | 28289 | 8671 | -8635 | 0.25 | 0 | 0 | 0
7/11/2024 | 14 | 119320 | 20984 | -20578 | 29779 | 8981 | -8807 | 0.25 | 0 | 0 | 0
7/11/2024 | 15 | 125447 | 22228 | -21856 | 31457 | 9514 | -9355 | 0.251 | 0 | 0 | 0
7/11/2024 | 16 | 129883 | 22820 | -22999 | 32798 | 9767 | -9843 | 0.252 | 321 | 39 | 0.121
7/11/2024 | 17 | 133367 | 24386 | -24447 | 34843 | 10437 | -10464 | 0.261 | 1226 | 293 | 0.239
7/11/2024 | 18 | 134321 | 25107 | -25133 | 36175 | 10746 | -10757 | 0.269 | 1127 | 275 | 0.244
7/11/2024 | 19 | 131786 | 26165 | -25157 | 37225 | 11198 | -10767 | 0.284 | 1520 | 453 | 0.298
7/11/2024 | 20 | 127287 | 26914 | -25346 | 38092 | 11519 | -10848 | 0.301 | 1464 | 453 | 0.309
7/11/2024 | 21 | 121966 | 25709 | -23922 | 36954 | 11004 | -10239 | 0.305 | 1579 | 504 | 0.319
7/11/2024 | 22 | 116545 | 24398 | -22563 | 35564 | 10442 | -9657 | 0.307 | 1954 | 627 | 0.321
7/11/2024 | 23 | 89753 | 14451 | -12592 | 28452 | 6185 | -5390 | 0.319 | 750 | 170 | 0.227
7/11/2024 | 24 | 97927 | 15262 | -12911 | 31917 | 6532 | -5526 | 0.328 | 1256 | 338 | 0.269
7/12/2024 | 1 | 90833 | 14449 | -12230 | 29830 | 6184 | -5235 | 0.331 | 953 | 252 | 0.264
7/12/2024 | 2 | 85103 | 14201 | -12006 | 27789 | 6078 | -5139 | 0.329 | 480 | 49 | 0.102
7/12/2024 | 3 | 80692 | 13938 | -11794 | 26641 | 5965 | -5048 | 0.333 | 441 | 22 | 0.05
7/12/2024 | 4 | 78568 | 14108 | -11860 | 26104 | 6038 | -5076 | 0.335 | 562 | 77 | 0.137
7/12/2024 | 5 | 77551 | 15062 | -12576 | 25764 | 6447 | -5382 | 0.335 | 766 | 177 | 0.231
7/12/2024 | 6 | 79474 | 14755 | -12633 | 25931 | 6315 | -5407 | 0.329 | 517 | 89 | 0.172
7/12/2024 | 7 | 82917 | 20260 | -18187 | 25062 | 8671 | -7784 | 0.305 | 1811 | 540 | 0.298
7/12/2024 | 8 | 87605 | 20003 | -18718 | 24223 | 8561 | -8012 | 0.279 | 1353 | 342 | 0.253
7/12/2024 | 9 | 91584 | 19625 | -18420 | 24414 | 8400 | -7884 | 0.269 | 1242 | 315 | 0.254
7/12/2024 | 10 | 94737 | 19517 | -18257 | 24506 | 8353 | -7814 | 0.261 | 501 | 46 | 0.092
7/12/2024 | 11 | 99147 | 18849 | -17766 | 25609 | 8068 | -7604 | 0.26 | 467 | 26 | 0.056
7/12/2024 | 12 | 103993 | 18544 | -17602 | 26550 | 7937 | -7534 | 0.257 | 338 | 1 | 0.003
7/12/2024 | 13 | 109728 | 19370 | -18498 | 27639 | 8290 | -7917 | 0.253 | 101 | 0 | 0
7/12/2024 | 14 | 115541 | 20405 | -19520 | 29328 | 8733 | -8354 | 0.255 | 150 | 0 | 0
7/12/2024 | 15 | 120230 | 22054 | -21250 | 31365 | 9439 | -9095 | 0.262 | 387 | 1 | 0.003
7/12/2024 | 16 | 123545 | 22242 | -21386 | 32470 | 9519 | -9153 | 0.264 | 540 | 63 | 0.117
7/12/2024 | 17 | 125396 | 23717 | -22919 | 33037 | 10151 | -9809 | 0.265 | 409 | 1 | 0.002
7/12/2024 | 18 | 127159 | 23521 | -22443 | 34103 | 10067 | -9606 | 0.27 | 637 | 68 | 0.107
7/12/2024 | 19 | 126541 | 24534 | -23207 | 35823 | 10500 | -9932 | 0.285 | 844 | 170 | 0.201
7/12/2024 | 20 | 121721 | 25375 | -23791 | 36532 | 10860 | -10182 | 0.302 | 919 | 169 | 0.184
7/12/2024 | 21 | 117166 | 24051 | -22340 | 35607 | 10294 | -9562 | 0.306 | 946 | 146 | 0.154
7/12/2024 | 22 | 111398 | 22460 | -20467 | 34230 | 9613 | -8760 | 0.309 | 1566 | 367 | 0.234
7/12/2024 | 23 | 103769 | 15714 | -13415 | 33543 | 6725 | -5742 | 0.326 | 679 | 10 | 0.015
7/12/2024 | 24 | 95139 | 15162 | -12325 | 31396 | 6489 | -5275 | 0.333 | 696 | 71 | 0.102
7/13/2024 | 1 | 88834 | 14418 | -11798 | 29383 | 6171 | -5049 | 0.334 | 539 | 6 | 0.011
7/13/2024 | 2 | 83865 | 14083 | -11455 | 28452 | 6027 | -4903 | 0.342 | 379 | 3 | 0.008
7/13/2024 | 3 | 79554 | 14285 | -11683 | 27068 | 6114 | -5000 | 0.343 | 516 | 60 | 0.116
7/13/2024 | 4 | 76742 | 13642 | -11164 | 26312 | 5839 | -4778 | 0.346 | 419 | 10 | 0.024
7/13/2024 | 5 | 75550 | 13608 | -11231 | 26108 | 5824 | -4807 | 0.348 | 323 | 3 | 0.009
7/13/2024 | 6 | 74845 | 14110 | -11905 | 25896 | 6039 | -5095 | 0.348 | 162 | 2 | 0.012
7/13/2024 | 7 | 75637 | 19852 | -17578 | 23881 | 8496 | -7524 | 0.319 | 593 | 42 | 0.071
7/13/2024 | 8 | 78707 | 19814 | -17416 | 22112 | 8481 | -7454 | 0.285 | 762 | 158 | 0.207
7/13/2024 | 9 | 82757 | 19169 | -16900 | 22161 | 8204 | -7233 | 0.272 | 854 | 200 | 0.234
7/13/2024 | 10 | 86887 | 19066 | -16825 | 22660 | 8160 | -7201 | 0.265 | 223 | 9 | 0.04
7/13/2024 | 11 | 92364 | 18445 | -16463 | 23967 | 7894 | -7046 | 0.263 | 120 | 0 | 0
7/13/2024 | 12 | 96644 | 18085 | -16345 | 25049 | 7740 | -6996 | 0.262 | 0 | 0 | 0
7/13/2024 | 13 | 101068 | 18351 | -16749 | 25834 | 7854 | -7169 | 0.258 | 0 | 0 | 0
7/13/2024 | 14 | 104718 | 19642 | -17626 | 25934 | 8407 | -7544 | 0.251 | 0 | 0 | 0
7/13/2024 | 15 | 108945 | 20784 | -18891 | 27219 | 8896 | -8085 | 0.253 | 0 | 0 | 0
7/13/2024 | 16 | 113778 | 21640 | -20127 | 28092 | 9262 | -8614 | 0.249 | 68 | 0 | 0
7/13/2024 | 17 | 117485 | 23936 | -22806 | 29450 | 10245 | -9761 | 0.252 | 72 | 0 | 0
7/13/2024 | 18 | 120529 | 24073 | -22980 | 31176 | 10303 | -9835 | 0.26 | 57 | 0 | 0
7/13/2024 | 19 | 120023 | 23977 | -22811 | 32584 | 10262 | -9763 | 0.273 | 173 | 1 | 0.006
7/13/2024 | 20 | 115588 | 24009 | -22468 | 33485 | 10276 | -9616 | 0.292 | 501 | 14 | 0.028
7/13/2024 | 21 | 110238 | 23293 | -21330 | 32326 | 9969 | -9129 | 0.296 | 667 | 45 | 0.067
7/13/2024 | 22 | 105570 | 23050 | -20734 | 31146 | 9865 | -8874 | 0.298 | 1458 | 344 | 0.236
7/13/2024 | 23 | 99335 | 15633 | -13137 | 31411 | 6691 | -5623 | 0.319 | 1109 | 114 | 0.103
7/13/2024 | 24 | 92063 | 15465 | -12679 | 29880 | 6619 | -5427 | 0.328 | 1029 | 106 | 0.103
7/14/2024 | 1 | 87123 | 15660 | -13703 | 28728 | 6703 | -5865 | 0.332 | 636 | 0 | 0
7/14/2024 | 2 | 82178 | 15839 | -13784 | 27101 | 6779 | -5900 | 0.332 | 588 | 0 | 0
7/14/2024 | 3 | 78494 | 16107 | -14373 | 25434 | 6894 | -6151 | 0.326 | 654 | 0 | 0
7/14/2024 | 4 | 75563 | 15713 | -13703 | 24397 | 6725 | -5865 | 0.326 | 821 | 0 | 0
7/14/2024 | 5 | 73967 | 15555 | -13846 | 23840 | 6657 | -5926 | 0.325 | 916 | 0 | 0
7/14/2024 | 6 | 73021 | 15339 | -13491 | 23214 | 6565 | -5774 | 0.321 | 906 | 0 | 0
7/14/2024 | 7 | 73462 | 15221 | -13589 | 22149 | 6514 | -5816 | 0.304 | 882 | 3 | 0.003
7/14/2024 | 8 | 75831 | 13996 | -12534 | 20333 | 5990 | -5364 | 0.271 | 1262 | 141 | 0.112
7/14/2024 | 9 | 80199 | 12842 | -11880 | 20182 | 5496 | -5085 | 0.254 | 907 | 15 | 0.017
7/14/2024 | 10 | 82113 | 12586 | -11343 | 20230 | 5387 | -4855 | 0.249 | 229 | 2 | 0.009
7/14/2024 | 11 | 85619 | 12646 | -11657 | 20118 | 5412 | -4989 | 0.237 | 55 | 0 | 0
7/14/2024 | 12 | 90319 | 13189 | -12018 | 21510 | 5645 | -5144 | 0.241 | 0 | 0 | 0
7/14/2024 | 13 | 95747 | 14030 | -13254 | 23030 | 6005 | -5673 | 0.242 | 0 | 0 | 0
7/14/2024 | 14 | 100225 | 15327 | -14305 | 23554 | 6560 | -6123 | 0.237 | 15 | 0 | 0
7/14/2024 | 15 | 104537 | 16935 | -15902 | 23851 | 7248 | -6806 | 0.23 | 463 | 0 | 0
7/14/2024 | 16 | 108938 | 17634 | -16480 | 25417 | 7548 | -7053 | 0.235 | 140 | 0 | 0
7/14/2024 | 17 | 112927 | 19105 | -17533 | 27534 | 8177 | -7504 | 0.246 | 252 | 0 | 0
7/14/2024 | 18 | 114542 | 20118 | -18429 | 28663 | 8610 | -7887 | 0.253 | 845 | 134 | 0.159
7/14/2024 | 19 | 116896 | 19902 | -18282 | 29606 | 8518 | -7825 | 0.256 | 937 | 127 | 0.136
7/14/2024 | 20 | 113534 | 19565 | -17668 | 31611 | 8374 | -7562 | 0.281 | 598 | 20 | 0.033
7/14/2024 | 21 | 108919 | 19042 | -16986 | 31640 | 8150 | -7270 | 0.293 | 611 | 34 | 0.056
7/14/2024 | 22 | 103620 | 18940 | -16631 | 30629 | 8106 | -7118 | 0.298 | 1395 | 250 | 0.179
7/14/2024 | 23 | 96485 | 16922 | -14778 | 29511 | 7242 | -6325 | 0.309 | 1232 | 336 | 0.273
7/14/2024 | 24 | 88692 | 16541 | -14241 | 27025 | 7079 | -6095 | 0.308 | 2295 | 776 | 0.338
7/15/2024 | 1 | 82895 | 16580 | -14525 | 25131 | 7096 | -6217 | 0.306 | 1554 | 519 | 0.334
7/15/2024 | 2 | 78474 | 16439 | -14708 | 23152 | 7036 | -6295 | 0.298 | 414 | 86 | 0.208
7/15/2024 | 3 | 75020 | 16062 | -14440 | 22341 | 6875 | -6180 | 0.301 | 175 | 3 | 0.017
7/15/2024 | 4 | 73602 | 15647 | -14114 | 22476 | 6697 | -6041 | 0.308 | 207 | 7 | 0.034
7/15/2024 | 5 | 73878 | 15531 | -14078 | 22862 | 6647 | -6025 | 0.312 | 379 | 21 | 0.055
7/15/2024 | 6 | 76035 | 15928 | -14404 | 23608 | 6817 | -6165 | 0.313 | 462 | 32 | 0.069
7/15/2024 | 7 | 79833 | 18679 | -17035 | 23695 | 7995 | -7291 | 0.299 | 1560 | 448 | 0.287
7/15/2024 | 8 | 83946 | 17979 | -16531 | 21951 | 7695 | -7075 | 0.264 | 650 | 130 | 0.2
7/15/2024 | 9 | 87042 | 17888 | -16424 | 21363 | 7656 | -7029 | 0.248 | 310 | 39 | 0.126
7/15/2024 | 10 | 90179 | 17113 | -16048 | 21475 | 7324 | -6869 | 0.24 | 248 | 0 | 0
7/15/2024 | 11 | 93421 | 17172 | -16304 | 21936 | 7350 | -6978 | 0.237 | 141 | 0 | 0
7/15/2024 | 12 | 97404 | 17433 | -16521 | 22715 | 7461 | -7071 | 0.235 | 0 | 0 | 0
7/15/2024 | 13 | 101702 | 17826 | -17264 | 23300 | 7630 | -7389 | 0.23 | 0 | 0 | 0
7/15/2024 | 14 | 106603 | 18950 | -18186 | 25042 | 8111 | -7784 | 0.236 | 0 | 0 | 0
7/15/2024 | 15 | 111385 | 20972 | -20721 | 26894 | 8976 | -8869 | 0.242 | 360 | 2 | 0.006
7/15/2024 | 16 | 115038 | 21458 | -21021 | 28268 | 9184 | -8997 | 0.246 | 513 | 0 | 0
7/15/2024 | 17 | 117677 | 23035 | -22358 | 28811 | 9859 | -9569 | 0.246 | 622 | 0 | 0
7/15/2024 | 18 | 121407 | 23202 | -22470 | 29751 | 9931 | -9617 | 0.246 | 97 | 0 | 0
7/15/2024 | 19 | 120672 | 23932 | -23091 | 30550 | 10243 | -9883 | 0.254 | 592 | 0 | 0
7/15/2024 | 20 | 117679 | 24403 | -23284 | 32385 | 10444 | -9966 | 0.277 | 986 | 0 | 0
7/15/2024 | 21 | 113268 | 23829 | -22485 | 31794 | 10199 | -9624 | 0.282 | 1128 | 0 | 0
7/15/2024 | 22 | 107540 | 21184 | -19547 | 29976 | 9067 | -8366 | 0.281 | 1303 | 73 | 0.056
7/15/2024 | 23 | 82806 | 13295 | -12039 | 24174 | 5690 | -5153 | 0.294 | 734 | 0 | 0
7/15/2024 | 24 | 90850 | 15267 | -13469 | 27308 | 6534 | -5765 | 0.303 | 748 | 4 | 0.005
7/16/2024 | 1 | 84656 | 15050 | -13271 | 25071 | 6441 | -5680 | 0.299 | 638 | 2 | 0.003
7/16/2024 | 2 | 80235 | 14789 | -12985 | 24028 | 6330 | -5558 | 0.302 | 473 | 38 | 0.08
7/16/2024 | 3 | 76543 | 14726 | -12831 | 23297 | 6303 | -5492 | 0.307 | 455 | 15 | 0.033
7/16/2024 | 4 | 74975 | 14210 | -12421 | 23164 | 6082 | -5316 | 0.312 | 331 | 12 | 0.036
7/16/2024 | 5 | 74913 | 13949 | -12237 | 23141 | 5970 | -5237 | 0.312 | 452 | 18 | 0.04
7/16/2024 | 6 | 76698 | 14124 | -12190 | 23725 | 6045 | -5217 | 0.312 | 625 | 2 | 0.003
7/16/2024 | 7 | 80368 | 18193 | -16562 | 23640 | 7787 | -7088 | 0.297 | 1050 | 128 | 0.122
7/16/2024 | 8 | 83756 | 17471 | -15825 | 21698 | 7478 | -6773 | 0.262 | 709 | 109 | 0.154
7/16/2024 | 9 | 87465 | 16924 | -15863 | 21368 | 7243 | -6790 | 0.246 | 250 | 0 | 0
7/16/2024 | 10 | 90534 | 17126 | -15946 | 22290 | 7330 | -6825 | 0.249 | 11 | 0 | 0
7/16/2024 | 11 | 94090 | 17104 | -16116 | 22476 | 7321 | -6898 | 0.241 | 0 | 0 | 0
7/16/2024 | 12 | 98302 | 17172 | -16346 | 22971 | 7350 | -6996 | 0.235 | 0 | 0 | 0
7/16/2024 | 13 | 103689 | 18498 | -18020 | 24573 | 7917 | -7713 | 0.238 | 0 | 0 | 0
7/16/2024 | 14 | 108228 | 19597 | -19073 | 25521 | 8387 | -8163 | 0.237 | 0 | 0 | 0
7/16/2024 | 15 | 111990 | 21012 | -20355 | 26316 | 8993 | -8712 | 0.236 | 0 | 0 | 0
7/16/2024 | 16 | 115889 | 21699 | -20599 | 27261 | 9287 | -8816 | 0.237 | 0 | 0 | 0
7/16/2024 | 17 | 119842 | 23681 | -22666 | 28399 | 10135 | -9701 | 0.239 | 0 | 0 | 0
7/16/2024 | 18 | 122441 | 23820 | -22653 | 29971 | 10195 | -9696 | 0.247 | 43 | 0 | 0
7/16/2024 | 19 | 122150 | 23993 | -22619 | 31666 | 10269 | -9681 | 0.261 | 408 | 0 | 0
7/16/2024 | 20 | 119296 | 23806 | -22000 | 32785 | 10189 | -9416 | 0.277 | 191 | 1 | 0.005
7/16/2024 | 21 | 113352 | 23034 | -20989 | 32148 | 9858 | -8983 | 0.286 | 616 | 4 | 0.006
7/16/2024 | 22 | 108120 | 21963 | -19652 | 30510 | 9400 | -8411 | 0.285 | 1199 | 112 | 0.093
7/16/2024 | 23 | 100318 | 14095 | -11837 | 30097 | 6033 | -5066 | 0.303 | 170 | 0 | 0
7/16/2024 | 24 | 92264 | 13060 | -10646 | 29091 | 5590 | -4556 | 0.318 | 15 | 0 | 0
7/17/2024 | 1 | 85799 | 13093 | -10706 | 27827 | 5604 | -4582 | 0.327 | 84 | 0 | 0
7/17/2024 | 2 | 81340 | 12953 | -10605 | 26710 | 5544 | -4539 | 0.331 | 51 | 0 | 0
7/17/2024 | 3 | 77443 | 12789 | -10380 | 25655 | 5473 | -4443 | 0.334 | 0 | 0 | 0
7/17/2024 | 4 | 75481 | 12093 | -9787 | 25569 | 5176 | -4189 | 0.341 | 50 | 0 | 0
7/17/2024 | 5 | 75962 | 12239 | -10059 | 25454 | 5238 | -4305 | 0.338 | 64 | 0 | 0
7/17/2024 | 6 | 77668 | 12934 | -10762 | 25099 | 5536 | -4606 | 0.326 | 494 | 91 | 0.184
7/17/2024 | 7 | 80708 | 17428 | -15397 | 24266 | 7459 | -6590 | 0.304 | 1080 | 178 | 0.165
7/17/2024 | 8 | 84249 | 16732 | -14901 | 22242 | 7161 | -6377 | 0.267 | 431 | 36 | 0.084
7/17/2024 | 9 | 87314 | 16176 | -14461 | 22168 | 6923 | -6189 | 0.257 | 102 | 0 | 0
7/17/2024 | 10 | 91076 | 16205 | -14831 | 23346 | 6936 | -6348 | 0.259 | 0 | 0 | 0
7/17/2024 | 11 | 93840 | 16554 | -15302 | 24176 | 7085 | -6549 | 0.26 | 0 | 0 | 0
7/17/2024 | 12 | 97385 | 17091 | -16127 | 24899 | 7315 | -6902 | 0.257 | 0 | 0 | 0
7/17/2024 | 13 | 100954 | 17992 | -17187 | 25627 | 7700 | -7356 | 0.255 | 0 | 0 | 0
7/17/2024 | 14 | 106607 | 19008 | -18116 | 26667 | 8136 | -7753 | 0.252 | 12 | 0 | 0
7/17/2024 | 15 | 110631 | 20669 | -19642 | 27568 | 8846 | -8407 | 0.251 | 36 | 0 | 0
7/17/2024 | 16 | 115580 | 21103 | -19910 | 28565 | 9032 | -8521 | 0.249 | 121 | 0 | 0
7/17/2024 | 17 | 119609 | 22907 | -21922 | 29193 | 9804 | -9382 | 0.246 | 372 | 0 | 0
7/17/2024 | 18 | 122256 | 23531 | -22610 | 30237 | 10071 | -9677 | 0.249 | 538 | 8 | 0.015
7/17/2024 | 19 | 122110 | 22791 | -21520 | 31161 | 9755 | -9211 | 0.257 | 497 | 1 | 0.002
7/17/2024 | 20 | 118678 | 22545 | -21118 | 32811 | 9649 | -9038 | 0.278 | 346 | 0 | 0
7/17/2024 | 21 | 113943 | 21593 | -19984 | 32281 | 9242 | -8553 | 0.285 | 287 | 0 | 0
7/17/2024 | 22 | 108033 | 20841 | -18687 | 31149 | 8920 | -7998 | 0.291 | 921 | 81 | 0.088
7/17/2024 | 23 | 100267 | 15186 | -12907 | 29739 | 6500 | -5524 | 0.3 | 15 | 0 | 0
7/17/2024 | 24 | 91997 | 14916 | -12429 | 28564 | 6384 | -5320 | 0.314 | 167 | 0 | 0
7/18/2024 | 1 | 85486 | 14874 | -12323 | 27673 | 6366 | -5274 | 0.327 | 151 | 1 | 0.007
7/18/2024 | 2 | 80650 | 14731 | -12138 | 26459 | 6305 | -5195 | 0.331 | 213 | 1 | 0.005
7/18/2024 | 3 | 77126 | 14418 | -11746 | 25933 | 6171 | -5027 | 0.339 | 51 | 1 | 0.02
7/18/2024 | 4 | 75362 | 14160 | -11618 | 25865 | 6061 | -4973 | 0.346 | 251 | 1 | 0.004
7/18/2024 | 5 | 75472 | 14073 | -11543 | 25750 | 6023 | -4940 | 0.344 | 66 | 1 | 0.015
7/18/2024 | 6 | 77668 | 14232 | -11799 | 25744 | 6091 | -5050 | 0.334 | 23 | 1 | 0.043
7/18/2024 | 7 | 80538 | 18631 | -16156 | 23990 | 7974 | -6915 | 0.302 | 899 | 219 | 0.244
7/18/2024 | 8 | 84510 | 17812 | -15546 | 22367 | 7624 | -6654 | 0.269 | 540 | 111 | 0.206
7/18/2024 | 9 | 88619 | 17447 | -15499 | 22379 | 7467 | -6633 | 0.256 | 317 | 2 | 0.006
7/18/2024 | 10 | 92410 | 17115 | -15644 | 23612 | 7325 | -6696 | 0.258 | 92 | 0 | 0
7/18/2024 | 11 | 96385 | 17289 | -15930 | 24826 | 7400 | -6818 | 0.26 | 252 | 1 | 0.004
7/18/2024 | 12 | 101125 | 17755 | -16662 | 25640 | 7599 | -7131 | 0.255 | 273 | 1 | 0.004
7/18/2024 | 13 | 106679 | 18577 | -17958 | 27041 | 7951 | -7686 | 0.254 | 39 | 0 | 0
7/18/2024 | 14 | 111331 | 18904 | -18253 | 28343 | 8091 | -7812 | 0.256 | 0 | 0 | 0
7/18/2024 | 15 | 115277 | 21009 | -20313 | 29316 | 8992 | -8694 | 0.255 | 12 | 0 | 0
7/18/2024 | 16 | 119257 | 22392 | -21578 | 30028 | 9584 | -9235 | 0.253 | 659 | 78 | 0.118
7/18/2024 | 17 | 121716 | 25277 | -24219 | 30230 | 10818 | -10366 | 0.25 | 1674 | 489 | 0.292
7/18/2024 | 18 | 123628 | 25189 | -24163 | 30883 | 10781 | -10342 | 0.251 | 1173 | 199 | 0.17
7/18/2024 | 19 | 123533 | 24692 | -23674 | 32587 | 10568 | -10132 | 0.265 | 993 | 153 | 0.154
7/18/2024 | 20 | 119428 | 24585 | -23132 | 33380 | 10522 | -9900 | 0.281 | 1596 | 367 | 0.23
7/18/2024 | 21 | 114893 | 22983 | -21489 | 32993 | 9837 | -9197 | 0.289 | 1580 | 313 | 0.198
7/18/2024 | 22 | 109371 | 21817 | -20166 | 31789 | 9337 | -8631 | 0.293 | 2542 | 697 | 0.274
7/18/2024 | 23 | 101637 | 15808 | -14146 | 30898 | 6766 | -6054 | 0.306 | 1012 | 250 | 0.247
7/18/2024 | 24 | 92785 | 14563 | -12327 | 28814 | 6233 | -5276 | 0.313 | 916 | 252 | 0.275
7/19/2024 | 1 | 86359 | 14440 | -12068 | 26653 | 6180 | -5165 | 0.312 | 780 | 140 | 0.179
7/19/2024 | 2 | 81637 | 14369 | -12326 | 25214 | 6150 | -5276 | 0.312 | 612 | 62 | 0.101
7/19/2024 | 3 | 78522 | 14089 | -12056 | 24553 | 6030 | -5160 | 0.316 | 608 | 34 | 0.056
7/19/2024 | 4 | 76436 | 13733 | -11810 | 24253 | 5878 | -5055 | 0.32 | 539 | 10 | 0.019
7/19/2024 | 5 | 76080 | 13576 | -11746 | 24087 | 5810 | -5027 | 0.319 | 607 | 47 | 0.077
7/19/2024 | 6 | 77761 | 13684 | -11907 | 24066 | 5857 | -5096 | 0.312 | 637 | 68 | 0.107
7/19/2024 | 7 | 80552 | 19376 | -17474 | 23143 | 8293 | -7479 | 0.291 | 1443 | 383 | 0.265
7/19/2024 | 8 | 83959 | 19010 | -17067 | 21569 | 8136 | -7305 | 0.261 | 947 | 203 | 0.214
7/19/2024 | 9 | 88046 | 17882 | -16091 | 21490 | 7654 | -6887 | 0.248 | 258 | 11 | 0.043
7/19/2024 | 10 | 92234 | 17301 | -15703 | 21662 | 7405 | -6721 | 0.238 | 128 | 0 | 0
7/19/2024 | 11 | 96512 | 17393 | -15982 | 22282 | 7444 | -6840 | 0.234 | 82 | 0 | 0
7/19/2024 | 12 | 101403 | 17740 | -16410 | 23744 | 7593 | -7024 | 0.237 | 5 | 0 | 0
7/19/2024 | 13 | 107490 | 18590 | -17573 | 25395 | 7956 | -7521 | 0.238 | 1 | 0 | 0
7/19/2024 | 14 | 113441 | 19330 | -18250 | 27191 | 8273 | -7811 | 0.241 | 0 | 0 | 0
7/19/2024 | 15 | 119003 | 20892 | -19730 | 28268 | 8942 | -8444 | 0.239 | 0 | 0 | 0
7/19/2024 | 16 | 122852 | 21758 | -20472 | 29201 | 9313 | -8762 | 0.24 | 220 | 2 | 0.009
7/19/2024 | 17 | 125050 | 23937 | -22542 | 29893 | 10245 | -9648 | 0.241 | 313 | 17 | 0.054
7/19/2024 | 18 | 127136 | 24820 | -23333 | 31721 | 10623 | -9986 | 0.252 | 618 | 91 | 0.147
7/19/2024 | 19 | 126678 | 25222 | -23504 | 33744 | 10795 | -10060 | 0.269 | 774 | 113 | 0.146
7/19/2024 | 20 | 122743 | 26201 | -24240 | 35602 | 11214 | -10375 | 0.292 | 1341 | 331 | 0.247
7/19/2024 | 21 | 117651 | 24811 | -22876 | 34977 | 10619 | -9791 | 0.299 | 1706 | 411 | 0.241
7/19/2024 | 22 | 111287 | 23766 | -21418 | 33422 | 10172 | -9167 | 0.303 | 1507 | 419 | 0.278
7/19/2024 | 23 | 103488 | 14188 | -11877 | 32480 | 6072 | -5084 | 0.316 | 964 | 245 | 0.254
7/19/2024 | 24 | 95803 | 13133 | -10763 | 30851 | 5621 | -4606 | 0.325 | 1351 | 427 | 0.316
7/20/2024 | 1 | 89464 | 12561 | -10469 | 29443 | 5376 | -4481 | 0.331 | 1495 | 466 | 0.312
7/20/2024 | 2 | 84109 | 11941 | -9770 | 28336 | 5111 | -4181 | 0.339 | 969 | 254 | 0.262
7/20/2024 | 3 | 79724 | 11921 | -9743 | 26874 | 5102 | -4170 | 0.34 | 635 | 99 | 0.156
7/20/2024 | 4 | 76637 | 11612 | -9394 | 25776 | 4970 | -4021 | 0.339 | 482 | 36 | 0.075
7/20/2024 | 5 | 75528 | 11562 | -9366 | 25777 | 4948 | -4009 | 0.344 | 588 | 78 | 0.133
7/20/2024 | 6 | 74706 | 11854 | -9659 | 25709 | 5073 | -4134 | 0.347 | 340 | 9 | 0.026
7/20/2024 | 7 | 74935 | 17908 | -15650 | 23684 | 7665 | -6698 | 0.319 | 554 | 72 | 0.13
7/20/2024 | 8 | 78262 | 17545 | -15347 | 21661 | 7509 | -6568 | 0.281 | 452 | 69 | 0.153
7/20/2024 | 9 | 81741 | 16991 | -14644 | 21132 | 7272 | -6268 | 0.263 | 165 | 1 | 0.006
7/20/2024 | 10 | 86375 | 17081 | -14939 | 21781 | 7311 | -6394 | 0.256 | 55 | 0 | 0
7/20/2024 | 11 | 91367 | 17177 | -15254 | 22450 | 7352 | -6529 | 0.249 | 0 | 0 | 0
7/20/2024 | 12 | 97157 | 17348 | -15594 | 23589 | 7425 | -6674 | 0.246 | 0 | 0 | 0
7/20/2024 | 13 | 102673 | 18553 | -16878 | 24953 | 7941 | -7224 | 0.246 | 0 | 0 | 0
7/20/2024 | 14 | 107854 | 19312 | -17579 | 26147 | 8266 | -7524 | 0.245 | 1 | 0 | 0
7/20/2024 | 15 | 113859 | 21266 | -19600 | 27448 | 9102 | -8389 | 0.244 | 444 | 8 | 0.018
7/20/2024 | 16 | 118681 | 22082 | -20631 | 28557 | 9451 | -8830 | 0.243 | 548 | 29 | 0.053
7/20/2024 | 17 | 122616 | 23737 | -22557 | 29371 | 10160 | -9654 | 0.241 | 219 | 0 | 0
7/20/2024 | 18 | 93289 | 18088 | -17105 | 23545 | 7741 | -7321 | 0.254 | 476 | 0 | 0
7/20/2024 | 19 | 123373 | 24433 | -23196 | 32864 | 10457 | -9928 | 0.268 | 994 | 126 | 0.127
7/20/2024 | 20 | 120474 | 23991 | -22497 | 34016 | 10268 | -9629 | 0.284 | 924 | 57 | 0.062
7/20/2024 | 21 | 114450 | 23646 | -21750 | 33799 | 10120 | -9309 | 0.297 | 789 | 46 | 0.058
7/20/2024 | 22 | 108577 | 22790 | -20640 | 33392 | 9754 | -8834 | 0.31 | 589 | 65 | 0.11
7/20/2024 | 23 | 101391 | 14637 | -12353 | 32945 | 6265 | -5287 | 0.327 | 289 | 2 | 0.007
7/20/2024 | 24 | 94033 | 12973 | -10591 | 31492 | 5553 | -4533 | 0.337 | 629 | 90 | 0.143
7/21/2024 | 1 | 87955 | 12135 | -10008 | 29123 | 5194 | -4284 | 0.333 | 1024 | 130 | 0.127
7/21/2024 | 2 | 82479 | 12063 | -9898 | 27643 | 5163 | -4236 | 0.338 | 526 | 42 | 0.08
7/21/2024 | 3 | 78067 | 11729 | -9555 | 26569 | 5020 | -4089 | 0.343 | 335 | 4 | 0.012
7/21/2024 | 4 | 75031 | 11508 | -9317 | 25498 | 4926 | -3987 | 0.342 | 309 | 10 | 0.032
7/21/2024 | 5 | 73550 | 11570 | -9387 | 24759 | 4952 | -4017 | 0.339 | 382 | 36 | 0.094
7/21/2024 | 6 | 73545 | 11270 | -9321 | 24433 | 4824 | -3989 | 0.335 | 514 | 93 | 0.181
7/21/2024 | 7 | 73537 | 12255 | -10421 | 22916 | 5245 | -4460 | 0.314 | 582 | 134 | 0.23
7/21/2024 | 8 | 76197 | 11968 | -10333 | 20858 | 5122 | -4423 | 0.277 | 867 | 253 | 0.292
7/21/2024 | 9 | 79997 | 11956 | -10600 | 19997 | 5117 | -4537 | 0.253 | 252 | 33 | 0.131
7/21/2024 | 10 | 83655 | 11795 | -10544 | 20520 | 5048 | -4513 | 0.248 | 94 | 0 | 0
7/21/2024 | 11 | 87518 | 11836 | -10664 | 20972 | 5066 | -4564 | 0.242 | 0 | 0 | 0
7/21/2024 | 12 | 92454 | 11849 | -10814 | 21854 | 5072 | -4628 | 0.239 | 0 | 0 | 0
7/21/2024 | 13 | 97183 | 12657 | -11786 | 22753 | 5417 | -5045 | 0.236 | 0 | 0 | 0
7/21/2024 | 14 | 101183 | 13411 | -12232 | 23654 | 5740 | -5235 | 0.236 | 0 | 0 | 0
7/21/2024 | 15 | 105663 | 15104 | -13995 | 24962 | 6465 | -5990 | 0.238 | 76 | 0 | 0
7/21/2024 | 16 | 110501 | 15780 | -14474 | 26507 | 6754 | -6195 | 0.242 | 0 | 0 | 0
7/21/2024 | 17 | 113525 | 15800 | -14540 | 27286 | 6762 | -6223 | 0.242 | 0 | 0 | 0
7/21/2024 | 18 | 114714 | 16105 | -14877 | 28262 | 6893 | -6368 | 0.248 | 276 | 0 | 0
7/21/2024 | 19 | 114355 | 17146 | -15884 | 29878 | 7339 | -6798 | 0.263 | 907 | 30 | 0.033
7/21/2024 | 20 | 111769 | 18446 | -17469 | 31831 | 7895 | -7477 | 0.286 | 665 | 8 | 0.012
7/21/2024 | 21 | 107263 | 17106 | -15950 | 31232 | 7321 | -6826 | 0.293 | 888 | 132 | 0.149
7/21/2024 | 22 | 103112 | 16489 | -14916 | 30820 | 7057 | -6384 | 0.301 | 841 | 89 | 0.106
7/21/2024 | 23 | 96431 | 14437 | -12847 | 29883 | 6179 | -5498 | 0.312 | 505 | 58 | 0.115
7/21/2024 | 24 | 89003 | 14442 | -12901 | 27927 | 6181 | -5522 | 0.316 | 1061 | 250 | 0.236
7/22/2024 | 1 | 83516 | 14943 | -13182 | 26435 | 6396 | -5642 | 0.319 | 1359 | 362 | 0.266
7/22/2024 | 2 | 79553 | 14341 | -12772 | 25632 | 6138 | -5467 | 0.324 | 711 | 123 | 0.173
7/22/2024 | 3 | 76385 | 14612 | -12917 | 25043 | 6254 | -5529 | 0.33 | 634 | 111 | 0.175
7/22/2024 | 4 | 75140 | 13927 | -12318 | 25013 | 5961 | -5272 | 0.335 | 1443 | 392 | 0.272
7/22/2024 | 5 | 75549 | 13938 | -12310 | 25144 | 5966 | -5269 | 0.335 | 1364 | 349 | 0.256
7/22/2024 | 6 | 77771 | 14257 | -12415 | 25719 | 6102 | -5314 | 0.333 | 1806 | 495 | 0.274
7/22/2024 | 7 | 81112 | 18578 | -16986 | 24959 | 7951 | -7270 | 0.31 | 1631 | 425 | 0.261
7/22/2024 | 8 | 85012 | 17831 | -16510 | 22823 | 7632 | -7066 | 0.271 | 1059 | 286 | 0.27
7/22/2024 | 9 | 89279 | 17313 | -16028 | 21902 | 7410 | -6860 | 0.248 | 611 | 97 | 0.159
7/22/2024 | 10 | 92925 | 16984 | -15657 | 22302 | 7269 | -6701 | 0.243 | 325 | 0 | 0
7/22/2024 | 11 | 96602 | 16922 | -15373 | 22975 | 7243 | -6580 | 0.241 | 402 | 1 | 0.002
7/22/2024 | 12 | 101247 | 17180 | -15750 | 24100 | 7353 | -6741 | 0.241 | 346 | 9 | 0.026
7/22/2024 | 13 | 107073 | 17871 | -16730 | 25544 | 7649 | -7160 | 0.241 | 419 | 28 | 0.067
7/22/2024 | 14 | 112500 | 18174 | -17088 | 27237 | 7779 | -7314 | 0.244 | 353 | 12 | 0.034
7/22/2024 | 15 | 117100 | 20160 | -18915 | 28920 | 8629 | -8096 | 0.249 | 238 | 0 | 0
7/22/2024 | 16 | 121344 | 21102 | -19825 | 29939 | 9032 | -8485 | 0.249 | 919 | 193 | 0.21
7/22/2024 | 17 | 124479 | 22696 | -21774 | 30864 | 9714 | -9319 | 0.249 | 1031 | 230 | 0.223
7/22/2024 | 18 | 126726 | 22753 | -21872 | 33281 | 9738 | -9361 | 0.264 | 351 | 12 | 0.034
7/22/2024 | 19 | 125566 | 23481 | -22466 | 34777 | 10050 | -9615 | 0.278 | 737 | 99 | 0.134
7/22/2024 | 20 | 120754 | 23939 | -22339 | 35462 | 10246 | -9561 | 0.295 | 750 | 147 | 0.196
7/22/2024 | 21 | 115925 | 22987 | -21206 | 34556 | 9838 | -9076 | 0.3 | 1204 | 247 | 0.205
7/22/2024 | 22 | 109713 | 21970 | -19814 | 32795 | 9403 | -8480 | 0.301 | 1454 | 309 | 0.213
7/22/2024 | 23 | 101287 | 16641 | -14077 | 31260 | 7122 | -6025 | 0.312 | 710 | 68 | 0.096
7/22/2024 | 24 | 92282 | 16746 | -13717 | 29302 | 7167 | -5871 | 0.321 | 962 | 200 | 0.208
7/23/2024 | 1 | 86823 | 16114 | -13387 | 28081 | 6897 | -5730 | 0.327 | 872 | 223 | 0.256
7/23/2024 | 2 | 81806 | 16401 | -13318 | 27019 | 7020 | -5700 | 0.334 | 784 | 167 | 0.213
7/23/2024 | 3 | 78486 | 16246 | -13262 | 26550 | 6953 | -5676 | 0.342 | 985 | 243 | 0.247
7/23/2024 | 4 | 76832 | 15862 | -12915 | 26408 | 6789 | -5528 | 0.347 | 702 | 131 | 0.187
7/23/2024 | 5 | 76849 | 15821 | -12890 | 26470 | 6771 | -5517 | 0.348 | 402 | 0 | 0
7/23/2024 | 6 | 79023 | 16176 | -13086 | 26929 | 6923 | -5601 | 0.344 | 337 | 5 | 0.015
7/23/2024 | 7 | 82713 | 20611 | -17608 | 26384 | 8822 | -7536 | 0.323 | 1545 | 401 | 0.26
7/23/2024 | 8 | 86078 | 19568 | -16756 | 24909 | 8375 | -7172 | 0.294 | 927 | 210 | 0.227
7/23/2024 | 9 | 90180 | 19122 | -16705 | 24553 | 8184 | -7150 | 0.276 | 376 | 0 | 0
7/23/2024 | 10 | 94079 | 18496 | -16448 | 24639 | 7916 | -7040 | 0.265 | 179 | 18 | 0.101
7/23/2024 | 11 | 98815 | 18549 | -16534 | 26092 | 7939 | -7077 | 0.267 | 57 | 0 | 0
7/23/2024 | 12 | 104204 | 18803 | -17098 | 27245 | 8047 | -7318 | 0.264 | 77 | 0 | 0
7/23/2024 | 13 | 110660 | 19177 | -17768 | 28717 | 8208 | -7605 | 0.262 | 86 | 0 | 0
7/23/2024 | 14 | 116560 | 20033 | -18531 | 30240 | 8574 | -7931 | 0.262 | 223 | 0 | 0
7/23/2024 | 15 | 121234 | 21619 | -20129 | 31829 | 9253 | -8615 | 0.265 | 299 | 0 | 0
7/23/2024 | 16 | 125388 | 22274 | -20634 | 33485 | 9533 | -8832 | 0.269 | 608 | 1 | 0.002
7/23/2024 | 17 | 127101 | 24668 | -22936 | 35105 | 10558 | -9817 | 0.278 | 562 | 27 | 0.048
7/23/2024 | 18 | 118189 | 22990 | -21201 | 33346 | 9840 | -9074 | 0.284 | 909 | 236 | 0.26
7/23/2024 | 19 | 85240 | 16870 | -15461 | 25289 | 7221 | -6618 | 0.299 | 696 | 118 | 0.17
7/23/2024 | 20 | 92568 | 19316 | -17522 | 28984 | 8267 | -7500 | 0.315 | 1227 | 236 | 0.192
7/23/2024 | 21 | 119068 | 24850 | -22538 | 38279 | 10636 | -9646 | 0.324 | 1897 | 693 | 0.365
7/23/2024 | 22 | 112873 | 24598 | -21971 | 37744 | 10528 | -9404 | 0.337 | 2475 | 991 | 0.4
7/23/2024 | 23 | 104647 | 16677 | -14218 | 36333 | 7138 | -6085 | 0.349 | 1406 | 357 | 0.254
7/23/2024 | 24 | 95070 | 16219 | -13155 | 32954 | 6942 | -5630 | 0.349 | 674 | 152 | 0.226
7/24/2024 | 1 | 88787 | 14786 | -11808 | 30898 | 6328 | -5054 | 0.351 | 303 | 25 | 0.083
7/24/2024 | 2 | 83944 | 15347 | -12461 | 28651 | 6568 | -5333 | 0.344 | 247 | 0 | 0
7/24/2024 | 3 | 80405 | 15102 | -12149 | 27206 | 6464 | -5200 | 0.342 | 281 | 0 | 0
7/24/2024 | 4 | 78547 | 14853 | -12048 | 26739 | 6357 | -5156 | 0.343 | 151 | 0 | 0
7/24/2024 | 5 | 78171 | 14691 | -11678 | 26352 | 6288 | -4998 | 0.34 | 0 | 0 | 0
7/24/2024 | 6 | 79537 | 15002 | -11794 | 26441 | 6421 | -5048 | 0.336 | 20 | 3 | 0.15
7/24/2024 | 7 | 83628 | 20221 | -17382 | 25951 | 8655 | -7439 | 0.314 | 1482 | 498 | 0.336
7/24/2024 | 8 | 87925 | 18183 | -15784 | 25113 | 7782 | -6755 | 0.289 | 1910 | 688 | 0.36
7/24/2024 | 9 | 92189 | 17039 | -15218 | 24769 | 7293 | -6514 | 0.272 | 1039 | 345 | 0.332
7/24/2024 | 10 | 96642 | 17088 | -15616 | 24686 | 7313 | -6684 | 0.258 | 430 | 90 | 0.209
7/24/2024 | 11 | 101383 | 17761 | -16284 | 25492 | 7602 | -6970 | 0.254 | 238 | 23 | 0.097
7/24/2024 | 12 | 106107 | 17760 | -16368 | 27054 | 7601 | -7005 | 0.257 | 110 | 0 | 0
7/24/2024 | 13 | 112370 | 18842 | -17424 | 28009 | 8064 | -7458 | 0.251 | 194 | 15 | 0.077
7/24/2024 | 14 | 108557 | 18306 | -16959 | 26848 | 7835 | -7259 | 0.25 | 302 | 23 | 0.076
7/24/2024 | 15 | 122510 | 22100 | -20584 | 31666 | 9459 | -8810 | 0.261 | 745 | 118 | 0.158
7/24/2024 | 16 | 126513 | 22478 | -21383 | 32968 | 9621 | -9152 | 0.262 | 1432 | 392 | 0.274
7/24/2024 | 17 | 127852 | 24884 | -23078 | 33723 | 10651 | -9877 | 0.266 | 1192 | 209 | 0.175
7/24/2024 | 18 | 129496 | 25335 | -23542 | 35146 | 10843 | -10076 | 0.274 | 967 | 197 | 0.204
7/24/2024 | 19 | 126834 | 23438 | -21586 | 36594 | 10031 | -9239 | 0.291 | 0 | 0 | 0
7/24/2024 | 20 | 121985 | 23794 | -21464 | 37280 | 10184 | -9187 | 0.308 | 30 | 0 | 0
7/24/2024 | 21 | 117315 | 23819 | -21714 | 36737 | 10194 | -9293 | 0.315 | 0 | 0 | 0
7/24/2024 | 22 | 112272 | 23500 | -21639 | 35884 | 10058 | -9262 | 0.321 | 248 | 18 | 0.073
7/24/2024 | 23 | 103715 | 19325 | -17253 | 34544 | 8271 | -7384 | 0.335 | 463 | 81 | 0.175
7/24/2024 | 24 | 93996 | 17162 | -14406 | 31047 | 7345 | -6166 | 0.333 | 1004 | 233 | 0.232
7/25/2024 | 1 | 88822 | 15768 | -13036 | 28553 | 6749 | -5579 | 0.325 | 915 | 223 | 0.244
7/25/2024 | 2 | 84738 | 15619 | -13317 | 27018 | 6685 | -5700 | 0.322 | 196 | 12 | 0.061
7/25/2024 | 3 | 80754 | 16138 | -13502 | 25806 | 6907 | -5779 | 0.323 | 274 | 25 | 0.091
7/25/2024 | 4 | 78843 | 15622 | -12964 | 25408 | 6686 | -5549 | 0.326 | 290 | 3 | 0.01
7/25/2024 | 5 | 78804 | 15766 | -13099 | 25529 | 6748 | -5606 | 0.327 | 259 | 2 | 0.008
7/25/2024 | 6 | 81047 | 15804 | -13414 | 25952 | 6764 | -5741 | 0.323 | 318 | 4 | 0.013
7/25/2024 | 7 | 84036 | 19615 | -17391 | 25088 | 8395 | -7443 | 0.302 | 511 | 104 | 0.204
7/25/2024 | 8 | 87542 | 19179 | -16840 | 23469 | 8209 | -7207 | 0.272 | 704 | 189 | 0.268
7/25/2024 | 9 | 90979 | 18560 | -16617 | 22830 | 7944 | -7112 | 0.255 | 749 | 219 | 0.292
7/25/2024 | 10 | 94497 | 18903 | -17005 | 23107 | 8091 | -7278 | 0.248 | 517 | 142 | 0.275
7/25/2024 | 11 | 98879 | 19535 | -17313 | 23653 | 8361 | -7410 | 0.243 | 355 | 78 | 0.22
7/25/2024 | 12 | 103209 | 20238 | -17910 | 24249 | 8662 | -7666 | 0.239 | 73 | 0 | 0
7/25/2024 | 13 | 108508 | 20278 | -18020 | 25559 | 8679 | -7713 | 0.239 | 34 | 0 | 0
7/25/2024 | 14 | 112655 | 20903 | -18340 | 25868 | 8946 | -7850 | 0.234 | 0 | 0 | 0
7/25/2024 | 15 | 117056 | 21340 | -19077 | 27201 | 9133 | -8165 | 0.236 | 0 | 0 | 0
7/25/2024 | 16 | 120928 | 22225 | -20206 | 28523 | 9512 | -8648 | 0.239 | 0 | 0 | 0
7/25/2024 | 17 | 122903 | 24252 | -21941 | 30057 | 10380 | -9391 | 0.248 | 0 | 0 | 0
7/25/2024 | 18 | 123750 | 24866 | -22614 | 31263 | 10643 | -9679 | 0.256 | 0 | 0 | 0
7/25/2024 | 19 | 122087 | 25890 | -23405 | 32973 | 11081 | -10017 | 0.273 | 0 | 0 | 0
7/25/2024 | 20 | 117926 | 25990 | -23337 | 34618 | 11124 | -9988 | 0.297 | 0 | 0 | 0
7/25/2024 | 21 | 112190 | 25712 | -22742 | 33740 | 11005 | -9734 | 0.304 | 92 | 0 | 0
7/25/2024 | 22 | 106844 | 24465 | -21417 | 32085 | 10471 | -9166 | 0.304 | 517 | 21 | 0.041
7/25/2024 | 23 | 98108 | 17967 | -14487 | 30138 | 7690 | -6200 | 0.311 | 808 | 139 | 0.172
7/25/2024 | 24 | 89868 | 15852 | -12161 | 27747 | 6785 | -5205 | 0.313 | 1407 | 428 | 0.304
7/26/2024 | 1 | 84324 | 14588 | -11523 | 25823 | 6243 | -4932 | 0.31 | 1211 | 342 | 0.282
7/26/2024 | 2 | 79624 | 14641 | -11614 | 24727 | 6266 | -4971 | 0.315 | 983 | 231 | 0.235
7/26/2024 | 3 | 76185 | 14564 | -11379 | 23791 | 6234 | -4870 | 0.317 | 891 | 176 | 0.198
7/26/2024 | 4 | 74656 | 12941 | -10086 | 23265 | 5539 | -4317 | 0.316 | 863 | 186 | 0.216
7/26/2024 | 5 | 74425 | 13020 | -10117 | 23417 | 5572 | -4330 | 0.319 | 766 | 161 | 0.21
7/26/2024 | 6 | 76338 | 13635 | -10766 | 23831 | 5836 | -4608 | 0.316 | 566 | 90 | 0.159
7/26/2024 | 7 | 79206 | 19152 | -16641 | 22885 | 8197 | -7122 | 0.293 | 1192 | 316 | 0.265
7/26/2024 | 8 | 82761 | 18910 | -16434 | 20732 | 8094 | -7034 | 0.256 | 676 | 122 | 0.18
7/26/2024 | 9 | 86350 | 18476 | -16135 | 19965 | 7908 | -6906 | 0.236 | 474 | 34 | 0.072
7/26/2024 | 10 | 89867 | 19017 | -16875 | 20361 | 8139 | -7222 | 0.231 | 320 | 0 | 0
7/26/2024 | 11 | 93508 | 19124 | -17360 | 20919 | 8185 | -7430 | 0.227 | 364 | 0 | 0
7/26/2024 | 12 | 97361 | 19092 | -16912 | 21012 | 8171 | -7238 | 0.22 | 282 | 0 | 0
7/26/2024 | 13 | 101801 | 19095 | -17164 | 21719 | 8173 | -7346 | 0.217 | 458 | 0 | 0
7/26/2024 | 14 | 106242 | 20427 | -18194 | 23115 | 8743 | -7787 | 0.222 | 368 | 0 | 0
7/26/2024 | 15 | 110123 | 21764 | -19267 | 24024 | 9315 | -8246 | 0.223 | 262 | 0 | 0
7/26/2024 | 16 | 113930 | 21384 | -18968 | 25152 | 9152 | -8118 | 0.225 | 0 | 0 | 0
7/26/2024 | 17 | 116265 | 22796 | -20211 | 25943 | 9757 | -8650 | 0.228 | 0 | 0 | 0
7/26/2024 | 18 | 117298 | 23767 | -20999 | 27404 | 10172 | -8988 | 0.238 | 21 | 0 | 0
7/26/2024 | 19 | 115954 | 24744 | -22079 | 29416 | 10591 | -9450 | 0.258 | 39 | 0 | 0
7/26/2024 | 20 | 112406 | 25257 | -22654 | 30875 | 10810 | -9696 | 0.278 | 0 | 0 | 0
7/26/2024 | 21 | 106790 | 24590 | -22284 | 30282 | 10525 | -9538 | 0.287 | 369 | 0 | 0
7/26/2024 | 22 | 101542 | 23093 | -20443 | 28933 | 9884 | -8750 | 0.289 | 729 | 17 | 0.023
7/26/2024 | 23 | 94361 | 16086 | -13238 | 27928 | 6885 | -5666 | 0.3 | 871 | 64 | 0.073
7/26/2024 | 24 | 88080 | 15168 | -12116 | 26255 | 6492 | -5185 | 0.302 | 808 | 49 | 0.061
7/27/2024 | 1 | 82283 | 15732 | -12988 | 24127 | 6733 | -5559 | 0.298 | 252 | 0 | 0
7/27/2024 | 2 | 77895 | 15608 | -12840 | 23233 | 6680 | -5495 | 0.303 | 259 | 1 | 0.004
7/27/2024 | 3 | 74254 | 15211 | -12472 | 22769 | 6510 | -5338 | 0.311 | 292 | 0 | 0
7/27/2024 | 4 | 71941 | 15059 | -12325 | 21925 | 6445 | -5275 | 0.309 | 333 | 0 | 0
7/27/2024 | 5 | 71137 | 14838 | -12265 | 21787 | 6351 | -5249 | 0.311 | 284 | 0 | 0
7/27/2024 | 6 | 70980 | 15065 | -12426 | 21403 | 6448 | -5318 | 0.306 | 392 | 35 | 0.089
7/27/2024 | 7 | 71067 | 19860 | -17002 | 19761 | 8500 | -7277 | 0.284 | 1314 | 399 | 0.304
7/27/2024 | 8 | 72553 | 19236 | -16485 | 15922 | 8233 | -7056 | 0.227 | 469 | 102 | 0.217
7/27/2024 | 9 | 75795 | 18664 | -16118 | 14917 | 7988 | -6898 | 0.204 | 57 | 0 | 0
7/27/2024 | 10 | 77869 | 18885 | -16282 | 14770 | 8083 | -6969 | 0.197 | 0 | 0 | 0
7/27/2024 | 11 | 80378 | 18742 | -16410 | 14505 | 8022 | -7024 | 0.187 | 0 | 0 | 0
7/27/2024 | 12 | 83079 | 19058 | -16795 | 14743 | 8157 | -7188 | 0.184 | 0 | 0 | 0
7/27/2024 | 13 | 86596 | 19571 | -17561 | 15213 | 8376 | -7516 | 0.181 | 0 | 0 | 0
7/27/2024 | 14 | 89772 | 20224 | -17993 | 15817 | 8656 | -7701 | 0.182 | 0 | 0 | 0
7/27/2024 | 15 | 93433 | 20910 | -18788 | 16703 | 8949 | -8041 | 0.184 | 0 | 0 | 0
7/27/2024 | 16 | 96840 | 21223 | -19215 | 17518 | 9083 | -8224 | 0.186 | 0 | 0 | 0
7/27/2024 | 17 | 100283 | 22588 | -20508 | 18794 | 9668 | -8777 | 0.192 | 0 | 0 | 0
7/27/2024 | 18 | 103320 | 24053 | -22157 | 20580 | 10295 | -9483 | 0.203 | 0 | 0 | 0
7/27/2024 | 19 | 103541 | 24055 | -22154 | 23111 | 10296 | -9482 | 0.227 | 202 | 1 | 0.005
7/27/2024 | 20 | 100904 | 24432 | -22592 | 25384 | 10457 | -9670 | 0.255 | 340 | 2 | 0.006
7/27/2024 | 21 | 97422 | 23868 | -21997 | 24893 | 10215 | -9415 | 0.259 | 1149 | 187 | 0.163
7/27/2024 | 22 | 93149 | 23482 | -21311 | 23632 | 10050 | -9121 | 0.258 | 1860 | 461 | 0.248
7/27/2024 | 23 | 87286 | 17115 | -14576 | 23616 | 7325 | -6239 | 0.275 | 465 | 19 | 0.041
7/27/2024 | 24 | 81317 | 16288 | -13734 | 21956 | 6971 | -5878 | 0.275 | 1040 | 213 | 0.205
7/28/2024 | 1 | 77221 | 15864 | -13632 | 21015 | 6790 | -5834 | 0.277 | 833 | 121 | 0.145
7/28/2024 | 2 | 73302 | 15516 | -13264 | 20117 | 6641 | -5677 | 0.279 | 1270 | 256 | 0.202
7/28/2024 | 3 | 70326 | 15075 | -12803 | 19366 | 6452 | -5480 | 0.28 | 1750 | 458 | 0.262
7/28/2024 | 4 | 68817 | 14817 | -12731 | 19336 | 6342 | -5449 | 0.285 | 1862 | 524 | 0.281
7/28/2024 | 5 | 68160 | 14820 | -12925 | 19313 | 6343 | -5532 | 0.287 | 2343 | 654 | 0.279
7/28/2024 | 6 | 67559 | 14794 | -12757 | 18578 | 6332 | -5460 | 0.279 | 2226 | 667 | 0.3
7/28/2024 | 7 | 68056 | 15841 | -14491 | 17723 | 6780 | -6202 | 0.264 | 1983 | 618 | 0.312
7/28/2024 | 8 | 69886 | 14495 | -13630 | 15098 | 6204 | -5834 | 0.219 | 275 | 14 | 0.051
7/28/2024 | 9 | 72774 | 13352 | -12608 | 14215 | 5715 | -5396 | 0.198 | 0 | 0 | 0
7/28/2024 | 10 | 75380 | 13154 | -12778 | 14345 | 5630 | -5469 | 0.191 | 0 | 0 | 0
7/28/2024 | 11 | 78209 | 13261 | -12973 | 14481 | 5676 | -5553 | 0.186 | 0 | 0 | 0
7/28/2024 | 12 | 80985 | 13468 | -13092 | 14768 | 5764 | -5603 | 0.183 | 0 | 0 | 0
7/28/2024 | 13 | 84881 | 13922 | -13671 | 15383 | 5959 | -5851 | 0.182 | 0 | 0 | 0
7/28/2024 | 14 | 88521 | 14597 | -13963 | 16296 | 6248 | -5976 | 0.186 | 0 | 0 | 0
7/28/2024 | 15 | 92090 | 15759 | -15442 | 17054 | 6745 | -6609 | 0.186 | 0 | 0 | 0
7/28/2024 | 16 | 95839 | 16857 | -16389 | 18209 | 7215 | -7015 | 0.191 | 0 | 0 | 0
7/28/2024 | 17 | 100531 | 18252 | -17431 | 20145 | 7812 | -7460 | 0.202 | 0 | 0 | 0
7/28/2024 | 18 | 104176 | 19615 | -18975 | 22776 | 8395 | -8121 | 0.22 | 30 | 0 | 0
7/28/2024 | 19 | 104414 | 19822 | -18820 | 25513 | 8484 | -8055 | 0.246 | 704 | 15 | 0.021
7/28/2024 | 20 | 101029 | 19462 | -17474 | 27266 | 8330 | -7479 | 0.273 | 574 | 6 | 0.01
7/28/2024 | 21 | 98015 | 19125 | -17413 | 26991 | 8186 | -7453 | 0.278 | 677 | 15 | 0.022
7/28/2024 | 22 | 93664 | 18543 | -16409 | 25791 | 7936 | -7023 | 0.279 | 1242 | 128 | 0.103
7/28/2024 | 23 | 87107 | 16237 | -13907 | 24887 | 6949 | -5952 | 0.289 | 598 | 58 | 0.097
7/28/2024 | 24 | 80638 | 16529 | -13953 | 23246 | 7074 | -5972 | 0.293 | 1171 | 260 | 0.222
7/29/2024 | 1 | 75989 | 16111 | -13868 | 22004 | 6895 | -5935 | 0.294 | 1316 | 337 | 0.256
7/29/2024 | 2 | 72397 | 16340 | -14011 | 21159 | 6994 | -5997 | 0.296 | 804 | 170 | 0.211
7/29/2024 | 3 | 69636 | 16481 | -14003 | 20472 | 7054 | -5993 | 0.299 | 542 | 64 | 0.118
7/29/2024 | 4 | 68551 | 15565 | -13394 | 20038 | 6662 | -5733 | 0.296 | 706 | 106 | 0.15
7/29/2024 | 5 | 69487 | 15304 | -13166 | 20400 | 6550 | -5635 | 0.298 | 834 | 145 | 0.174
7/29/2024 | 6 | 72447 | 15581 | -13530 | 21325 | 6669 | -5791 | 0.298 | 702 | 68 | 0.097
7/29/2024 | 7 | 75572 | 19237 | -17100 | 20884 | 8234 | -7319 | 0.281 | 1991 | 503 | 0.253
7/29/2024 | 8 | 78880 | 18385 | -16491 | 18858 | 7869 | -7058 | 0.244 | 1116 | 253 | 0.227
7/29/2024 | 9 | 81890 | 17960 | -16326 | 17615 | 7687 | -6988 | 0.219 | 135 | 0 | 0
7/29/2024 | 10 | 84057 | 18003 | -16190 | 17436 | 7705 | -6929 | 0.212 | 0 | 0 | 0
7/29/2024 | 11 | 86540 | 18098 | -16392 | 17941 | 7746 | -7016 | 0.212 | 0 | 0 | 0
7/29/2024 | 12 | 89318 | 18314 | -16667 | 18532 | 7839 | -7134 | 0.211 | 0 | 0 | 0
7/29/2024 | 13 | 93013 | 18978 | -17563 | 18877 | 8123 | -7517 | 0.206 | 0 | 0 | 0
7/29/2024 | 14 | 97126 | 19564 | -18308 | 19673 | 8374 | -7836 | 0.205 | 0 | 0 | 0
7/29/2024 | 15 | 102093 | 21676 | -21240 | 21395 | 9277 | -9091 | 0.21 | 0 | 0 | 0
7/29/2024 | 16 | 105577 | 22267 | -21735 | 22727 | 9530 | -9303 | 0.216 | 0 | 0 | 0
7/29/2024 | 17 | 108481 | 22100 | -21782 | 23352 | 9459 | -9323 | 0.216 | 486 | 1 | 0.002
7/29/2024 | 18 | 110286 | 22711 | -22002 | 24802 | 9720 | -9417 | 0.226 | 341 | 0 | 0
7/29/2024 | 19 | 109478 | 22599 | -21682 | 26712 | 9672 | -9280 | 0.246 | 143 | 0 | 0
7/29/2024 | 20 | 106211 | 23111 | -21968 | 28796 | 9892 | -9402 | 0.273 | 10 | 0 | 0
7/29/2024 | 21 | 102458 | 22460 | -21348 | 28029 | 9613 | -9137 | 0.275 | 335 | 3 | 0.009
7/29/2024 | 22 | 65357 | 14469 | -13019 | 18009 | 6193 | -5572 | 0.279 | 489 | 51 | 0.104
7/29/2024 | 23 | 90212 | 16491 | -13522 | 26377 | 7058 | -5787 | 0.297 | 444 | 9 | 0.02
7/29/2024 | 24 | 83450 | 16074 | -12988 | 25027 | 6880 | -5559 | 0.304 | 723 | 129 | 0.178
7/30/2024 | 1 | 78606 | 15320 | -12869 | 23375 | 6557 | -5508 | 0.301 | 501 | 35 | 0.07
7/30/2024 | 2 | 74543 | 14745 | -12210 | 22483 | 6311 | -5226 | 0.306 | 406 | 26 | 0.064
7/30/2024 | 3 | 71546 | 14551 | -12072 | 21384 | 6228 | -5167 | 0.303 | 261 | 3 | 0.011
7/30/2024 | 4 | 70561 | 14049 | -11775 | 21245 | 6013 | -5040 | 0.305 | 436 | 34 | 0.078
7/30/2024 | 5 | 71054 | 14386 | -11954 | 21457 | 6157 | -5116 | 0.306 | 540 | 9 | 0.017
7/30/2024 | 6 | 73441 | 14714 | -12298 | 22633 | 6297 | -5264 | 0.312 | 282 | 6 | 0.021
7/30/2024 | 7 | 76660 | 17345 | -15025 | 22083 | 7424 | -6431 | 0.292 | 707 | 153 | 0.216
7/30/2024 | 8 | 79565 | 16241 | -14225 | 19438 | 6951 | -6088 | 0.249 | 412 | 34 | 0.083
7/30/2024 | 9 | 83595 | 15367 | -13666 | 18205 | 6577 | -5849 | 0.222 | 324 | 7 | 0.022
7/30/2024 | 10 | 86246 | 14870 | -13628 | 18105 | 6365 | -5833 | 0.213 | 199 | 0 | 0
7/30/2024 | 11 | 88819 | 15341 | -14596 | 18291 | 6566 | -6247 | 0.208 | 0 | 0 | 0
7/30/2024 | 12 | 92389 | 15279 | -14452 | 19082 | 6539 | -6185 | 0.209 | 0 | 0 | 0
7/30/2024 | 13 | 95958 | 15886 | -15529 | 19683 | 6799 | -6646 | 0.206 | 0 | 0 | 0
7/30/2024 | 14 | 99907 | 16837 | -16236 | 20595 | 7206 | -6949 | 0.207 | 0 | 0 | 0
7/30/2024 | 15 | 104372 | 18644 | -18219 | 21828 | 7980 | -7798 | 0.21 | 0 | 0 | 0
7/30/2024 | 17 | 110700 | 19879 | -18928 | 23621 | 8508 | -8101 | 0.215 | 6 | 0 | 0
7/30/2024 | 18 | 113757 | 20640 | -20201 | 25413 | 8834 | -8646 | 0.224 | 424 | 2 | 0.005
7/30/2024 | 19 | 113660 | 20739 | -20100 | 28021 | 8876 | -8603 | 0.248 | 37 | 0 | 0
7/30/2024 | 20 | 110136 | 21030 | -20115 | 29909 | 9001 | -8609 | 0.273 | 1 | 0 | 0
7/30/2024 | 21 | 105494 | 20569 | -19451 | 29528 | 8803 | -8325 | 0.281 | 241 | 0 | 0
7/30/2024 | 22 | 99987 | 19462 | -17548 | 27494 | 8330 | -7511 | 0.278 | 828 | 93 | 0.112
7/30/2024 | 23 | 92761 | 15326 | -13179 | 26429 | 6560 | -5641 | 0.288 | 542 | 34 | 0.063
7/30/2024 | 24 | 85298 | 14850 | -12360 | 24939 | 6356 | -5290 | 0.296 | 706 | 125 | 0.177
7/31/2024 | 1 | 79933 | 13392 | -11183 | 23530 | 5732 | -4786 | 0.298 | 564 | 95 | 0.168
7/31/2024 | 2 | 75338 | 13312 | -11049 | 22354 | 5698 | -4729 | 0.301 | 344 | 32 | 0.093
7/31/2024 | 3 | 72572 | 13263 | -10946 | 22210 | 5677 | -4685 | 0.31 | 239 | 0 | 0
7/31/2024 | 4 | 70767 | 13143 | -10756 | 22242 | 5625 | -4604 | 0.318 | 238 | 0 | 0
7/31/2024 | 5 | 70966 | 12887 | -10408 | 22733 | 5516 | -4454 | 0.324 | 257 | 16 | 0.062
7/31/2024 | 6 | 73186 | 13052 | -10418 | 23871 | 5586 | -4459 | 0.33 | 630 | 124 | 0.197
7/31/2024 | 7 | 77103 | 16842 | -14800 | 24185 | 7208 | -6335 | 0.317 | 1978 | 662 | 0.335
7/31/2024 | 8 | 80158 | 16975 | -14524 | 21623 | 7265 | -6216 | 0.274 | 749 | 169 | 0.226
7/31/2024 | 9 | 84038 | 15655 | -13564 | 20573 | 6701 | -5805 | 0.249 | 385 | 35 | 0.091
7/31/2024 | 10 | 86544 | 15136 | -13501 | 20823 | 6478 | -5778 | 0.244 | 168 | 3 | 0.018
7/31/2024 | 11 | 89295 | 15560 | -14247 | 21574 | 6660 | -6098 | 0.244 | 0 | 0 | 0
7/31/2024 | 12 | 93034 | 15943 | -14746 | 22534 | 6824 | -6311 | 0.245 | 0 | 0 | 0
7/31/2024 | 13 | 98260 | 16349 | -15126 | 23566 | 6997 | -6474 | 0.242 | 0 | 0 | 0
7/31/2024 | 14 | 103914 | 17298 | -15944 | 24927 | 7403 | -6824 | 0.242 | 0 | 0 | 0
7/31/2024 | 15 | 108383 | 18445 | -16862 | 26538 | 7894 | -7217 | 0.247 | 0 | 0 | 0
7/31/2024 | 16 | 112433 | 19131 | -17686 | 28070 | 8188 | -7569 | 0.252 | 0 | 0 | 0
7/31/2024 | 17 | 115613 | 21259 | -19720 | 28914 | 9099 | -8440 | 0.252 | 58 | 0 | 0
7/31/2024 | 18 | 118467 | 21852 | -20258 | 31067 | 9352 | -8671 | 0.264 | 544 | 58 | 0.107
7/31/2024 | 19 | 117947 | 21552 | -20130 | 32479 | 9224 | -8616 | 0.277 | 736 | 143 | 0.194
7/31/2024 | 20 | 114270 | 21687 | -20004 | 34088 | 9282 | -8562 | 0.3 | 901 | 186 | 0.206
7/31/2024 | 21 | 109696 | 20867 | -18986 | 33666 | 8931 | -8126 | 0.309 | 1313 | 291 | 0.222
7/31/2024 | 22 | 103926 | 19619 | -17193 | 32902 | 8397 | -7358 | 0.319 | 1819 | 532 | 0.292
7/31/2024 | 23 | 96167 | 13359 | -10833 | 31500 | 5718 | -4636 | 0.33 | 612 | 36 | 0.059
7/31/2024 | 24 | 88530 | 12511 | -9761 | 29937 | 5355 | -4178 | 0.341 | 1100 | 235 | 0.214