## KEY
Average Emissions Rate Calculation
Background:
The CAISO is publishing this metric of an average emissions rate (AER) based on the discussion in the GHG working groups. CAISO discussed the metric at the November 27, 2023 GHG Coordination Working Group. A brief explanation of the methodology is included below:
Methodology:
1) Which resources are reflected in this example AER metric (all schedules are from the 5-minute market)
- All supply resources are included
- All demand response resources are excluded
- All energy storage resources are included (emissions rate used is 0 MTCO2e/MWh)
- Resources that were attributed to serve California are included
2) The AER measures all schedules ie. The total dispatach of the resources and not relative to WEIM base schedule
3) Bilateral transactions are included (emissions rate used is 0.428 MTCO2e/MWh) unless they are resource specific.
4) CAISO filled in missing heat rate and emissions rate data by using wtd averages from existing data
Key
TRADE_DT | Trade date of the reported data in MM/DD/YYYY format
TRADE_HR | Trade hour of the reported data. Data is reported as the "hour-ending", e.g. TRADE_HR = 2 is for the hour-ending 1:59:59AM Pacific time
GEN_MWH | MWh of electricity generation in the WEIM area* (including CAISO)
IMP_MWH | MWh of electricity imports into the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
EXP_MWH | MWh of electricity exports from the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
GEN_GHG | Greenhouse gas emissions in MTCO2e of electricity generation in the WEIM area
IMP_GHG | Greenhouse gas emissions in MTCO2e of electricity imports into the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
EXP_GHG | Greenhouse gas emissions in MTCO2e of electricity exports from the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
AVG_EM_RATE | Average emissions rate calculated as columns G through I divided by columns C through E
ATTR_MWH | MWh of WEIM transfers into California which, by definition, is equal to the sum of the GHG attributions
ATTR_GHG | Greenhouse gas emissions in MTCO2e of WEIM transfers into California (resource-specific)
ATTR_AVG_EM_RATE | Average emissions rate of WEIM transfers into California
CAISO PUBLIC

## AER_SUMMARY
TRADE_DT | TRADE_HR | GEN_MWH | IMP_MWH | EXP_MWH | GEN_GHG | IMP_GHG | EXP_GHG | AVG_EM_RATE | ATTR_MWH | ATTR_GHG | ATTR_AVG_EM_RATE
7/1/2025 | 1 | 84538 | 12604 | -11057 | 26147 | 5395 | -4732 | 0.311 | 749 | 131 | 0.175
7/1/2025 | 2 | 79561 | 12679 | -10967 | 25190 | 5426 | -4694 | 0.319 | 516 | 19 | 0.037
7/1/2025 | 3 | 75567 | 12972 | -11058 | 24331 | 5552 | -4733 | 0.325 | 502 | 11 | 0.022
7/1/2025 | 4 | 73500 | 13105 | -11143 | 24103 | 5609 | -4769 | 0.331 | 467 | 0 | 0
7/1/2025 | 5 | 73555 | 13083 | -11212 | 24382 | 5600 | -4799 | 0.334 | 750 | 87 | 0.116
7/1/2025 | 6 | 74945 | 12845 | -10942 | 24388 | 5498 | -4684 | 0.328 | 710 | 39 | 0.055
7/1/2025 | 7 | 77498 | 16604 | -14595 | 22396 | 7107 | -6246 | 0.293 | 844 | 153 | 0.181
7/1/2025 | 8 | 82093 | 15749 | -14148 | 20399 | 6740 | -6055 | 0.252 | 512 | 56 | 0.109
7/1/2025 | 9 | 85840 | 15421 | -14044 | 20335 | 6600 | -6010 | 0.24 | 9 | 0 | 0
7/1/2025 | 10 | 88846 | 15708 | -14457 | 20943 | 6723 | -6187 | 0.238 | 0 | 0 | 0
7/1/2025 | 11 | 91244 | 16003 | -14652 | 21086 | 6849 | -6271 | 0.234 | 0 | 0 | 0
7/1/2025 | 12 | 95194 | 16613 | -15453 | 21830 | 7110 | -6614 | 0.232 | 0 | 0 | 0
7/1/2025 | 13 | 99910 | 17112 | -16189 | 22744 | 7324 | -6929 | 0.229 | 0 | 0 | 0
7/1/2025 | 14 | 104360 | 17679 | -17020 | 23663 | 7567 | -7284 | 0.228 | 0 | 0 | 0
7/1/2025 | 15 | 107980 | 18198 | -17647 | 24495 | 7789 | -7552 | 0.228 | 0 | 0 | 0
7/1/2025 | 16 | 111988 | 18904 | -18585 | 25253 | 8091 | -7954 | 0.226 | 63 | 0 | 0
7/1/2025 | 17 | 115534 | 20146 | -20067 | 26300 | 8623 | -8588 | 0.228 | 0 | 0 | 0
7/1/2025 | 18 | 116987 | 20982 | -20678 | 27047 | 8980 | -8850 | 0.232 | 450 | 39 | 0.087
7/1/2025 | 19 | 117320 | 21428 | -21103 | 27698 | 9171 | -9032 | 0.237 | 1403 | 305 | 0.217
7/1/2025 | 20 | 114564 | 21566 | -21100 | 28168 | 9230 | -9031 | 0.247 | 1881 | 549 | 0.292
7/1/2025 | 21 | 110445 | 21266 | -20365 | 27899 | 9102 | -8716 | 0.254 | 2236 | 633 | 0.283
7/1/2025 | 22 | 104826 | 20974 | -19660 | 27255 | 8977 | -8415 | 0.262 | 1942 | 542 | 0.279
7/1/2025 | 23 | 96302 | 14974 | -12928 | 26948 | 6409 | -5533 | 0.283 | 688 | 95 | 0.138
7/1/2025 | 24 | 89213 | 14928 | -12788 | 25945 | 6389 | -5474 | 0.294 | 673 | 23 | 0.034
7/2/2025 | 1 | 84035 | 14825 | -12305 | 24964 | 6345 | -5266 | 0.301 | 363 | 44 | 0.121
7/2/2025 | 2 | 78806 | 15202 | -12461 | 24132 | 6506 | -5334 | 0.31 | 529 | 32 | 0.06
7/2/2025 | 3 | 75692 | 15082 | -12823 | 23271 | 6455 | -5488 | 0.311 | 653 | 54 | 0.083
7/2/2025 | 4 | 73584 | 14814 | -12680 | 22468 | 6340 | -5427 | 0.309 | 489 | 46 | 0.094
7/2/2025 | 5 | 73388 | 14938 | -12712 | 22511 | 6394 | -5440 | 0.31 | 409 | 15 | 0.037
7/2/2025 | 6 | 74828 | 15363 | -13048 | 22294 | 6575 | -5585 | 0.302 | 435 | 21 | 0.048
7/2/2025 | 7 | 77893 | 17600 | -15449 | 21317 | 7533 | -6612 | 0.278 | 791 | 121 | 0.153
7/2/2025 | 8 | 82260 | 16675 | -15301 | 19938 | 7137 | -6549 | 0.245 | 119 | 3 | 0.025
7/2/2025 | 9 | 84963 | 15168 | -14139 | 19538 | 6492 | -6052 | 0.232 | 0 | 0 | 0
7/2/2025 | 10 | 86822 | 14832 | -13843 | 19613 | 6348 | -5925 | 0.228 | 0 | 0 | 0
7/2/2025 | 11 | 89037 | 15151 | -14020 | 19859 | 6484 | -6001 | 0.226 | 0 | 0 | 0
7/2/2025 | 12 | 91748 | 15343 | -14108 | 20710 | 6567 | -6038 | 0.228 | 0 | 0 | 0
7/2/2025 | 13 | 95609 | 16077 | -15289 | 21272 | 6881 | -6544 | 0.224 | 0 | 0 | 0
7/2/2025 | 14 | 98590 | 16939 | -15913 | 21660 | 7250 | -6811 | 0.222 | 0 | 0 | 0
7/2/2025 | 15 | 101563 | 17349 | -16591 | 21548 | 7426 | -7101 | 0.214 | 0 | 0 | 0
7/2/2025 | 16 | 104415 | 17872 | -17124 | 21652 | 7649 | -7329 | 0.209 | 0 | 0 | 0
7/2/2025 | 17 | 106618 | 19204 | -18115 | 21720 | 8220 | -7753 | 0.206 | 0 | 0 | 0
7/2/2025 | 18 | 109239 | 20047 | -19210 | 21953 | 8580 | -8222 | 0.203 | 1 | 0 | 0
7/2/2025 | 19 | 109242 | 19975 | -19082 | 22462 | 8549 | -8167 | 0.207 | 877 | 78 | 0.089
7/2/2025 | 20 | 106487 | 19982 | -19531 | 23191 | 8552 | -8359 | 0.219 | 1394 | 309 | 0.222
7/2/2025 | 21 | 102097 | 20206 | -19207 | 22816 | 8648 | -8220 | 0.225 | 1477 | 302 | 0.204
7/2/2025 | 22 | 96877 | 19241 | -17758 | 22429 | 8235 | -7601 | 0.234 | 2000 | 544 | 0.272
7/2/2025 | 23 | 90113 | 15737 | -13745 | 22217 | 6736 | -5883 | 0.25 | 1003 | 195 | 0.194
7/2/2025 | 24 | 83750 | 15647 | -13217 | 21638 | 6697 | -5657 | 0.263 | 1234 | 212 | 0.172
7/3/2025 | 1 | 78806 | 15563 | -13121 | 21264 | 6661 | -5616 | 0.275 | 634 | 26 | 0.041
7/3/2025 | 2 | 75222 | 15098 | -12861 | 20940 | 6462 | -5504 | 0.283 | 634 | 23 | 0.036
7/3/2025 | 3 | 71786 | 15285 | -12774 | 21372 | 6542 | -5467 | 0.302 | 492 | 0 | 0
7/3/2025 | 4 | 70158 | 15221 | -12678 | 21665 | 6515 | -5426 | 0.313 | 414 | 0 | 0
7/3/2025 | 5 | 70200 | 15097 | -12515 | 21945 | 6462 | -5357 | 0.317 | 646 | 0 | 0
7/3/2025 | 6 | 71930 | 15490 | -12687 | 22279 | 6630 | -5430 | 0.314 | 460 | 6 | 0.013
7/3/2025 | 7 | 75094 | 17854 | -15510 | 21163 | 7641 | -6638 | 0.286 | 801 | 125 | 0.156
7/3/2025 | 8 | 77473 | 17377 | -15541 | 18699 | 7437 | -6652 | 0.246 | 27 | 0 | 0
7/3/2025 | 9 | 80093 | 15838 | -14218 | 17276 | 6779 | -6085 | 0.22 | 0 | 0 | 0
7/3/2025 | 10 | 81508 | 15219 | -13653 | 16971 | 6514 | -5843 | 0.212 | 0 | 0 | 0
7/3/2025 | 11 | 82871 | 15321 | -13581 | 16905 | 6557 | -5812 | 0.209 | 0 | 0 | 0
7/3/2025 | 12 | 85409 | 15465 | -13726 | 17313 | 6619 | -5874 | 0.207 | 0 | 0 | 0
7/3/2025 | 13 | 88094 | 15878 | -14086 | 17401 | 6796 | -6029 | 0.202 | 0 | 0 | 0
7/3/2025 | 14 | 92070 | 15936 | -14131 | 18728 | 6821 | -6048 | 0.208 | 0 | 0 | 0
7/3/2025 | 15 | 94536 | 16979 | -15056 | 19297 | 7267 | -6444 | 0.209 | 0 | 0 | 0
7/3/2025 | 16 | 97421 | 17269 | -15678 | 20136 | 7391 | -6710 | 0.21 | 0 | 0 | 0
7/3/2025 | 17 | 99344 | 18599 | -17025 | 19780 | 7960 | -7287 | 0.203 | 0 | 0 | 0
7/3/2025 | 18 | 101899 | 19437 | -17695 | 20201 | 8319 | -7573 | 0.202 | 85 | 0 | 0
7/3/2025 | 19 | 102065 | 19944 | -18105 | 21352 | 8536 | -7749 | 0.213 | 568 | 12 | 0.021
7/3/2025 | 20 | 99562 | 20191 | -17946 | 22035 | 8642 | -7681 | 0.226 | 946 | 199 | 0.21
7/3/2025 | 21 | 96106 | 19912 | -17471 | 21931 | 8522 | -7477 | 0.233 | 707 | 67 | 0.095
7/3/2025 | 22 | 92321 | 19314 | -16847 | 22007 | 8266 | -7210 | 0.243 | 670 | 24 | 0.036
7/3/2025 | 23 | 86978 | 16950 | -14222 | 22003 | 7255 | -6087 | 0.258 | 533 | 1 | 0.002
7/3/2025 | 24 | 81712 | 15396 | -12836 | 21408 | 6590 | -5494 | 0.267 | 549 | 30 | 0.055
7/4/2025 | 1 | 77435 | 14506 | -12346 | 20999 | 6208 | -5284 | 0.275 | 202 | 3 | 0.015
7/4/2025 | 2 | 74200 | 13129 | -11648 | 21321 | 5619 | -4986 | 0.29 | 398 | 0 | 0
7/4/2025 | 3 | 70680 | 13201 | -11654 | 20883 | 5650 | -4988 | 0.298 | 923 | 145 | 0.157
7/4/2025 | 4 | 69189 | 13227 | -11902 | 21485 | 5662 | -5094 | 0.313 | 558 | 8 | 0.014
7/4/2025 | 5 | 68682 | 12705 | -11677 | 21552 | 5438 | -4998 | 0.315 | 608 | 70 | 0.115
7/4/2025 | 6 | 69111 | 12456 | -11903 | 21178 | 5331 | -5095 | 0.307 | 671 | 109 | 0.162
7/4/2025 | 7 | 70603 | 12740 | -12308 | 18997 | 5453 | -5268 | 0.27 | 1321 | 306 | 0.232
7/4/2025 | 8 | 72476 | 12046 | -11959 | 15612 | 5155 | -5118 | 0.216 | 0 | 0 | 0
7/4/2025 | 9 | 74511 | 11425 | -11538 | 13796 | 4890 | -4938 | 0.185 | 0 | 0 | 0
7/4/2025 | 10 | 76116 | 11962 | -12360 | 15089 | 5120 | -5290 | 0.197 | 0 | 0 | 0
7/4/2025 | 11 | 79045 | 12086 | -12921 | 13501 | 5173 | -5530 | 0.168 | 0 | 0 | 0
7/4/2025 | 12 | 81156 | 12275 | -13161 | 13455 | 5254 | -5633 | 0.163 | 0 | 0 | 0
7/4/2025 | 13 | 83659 | 12724 | -13481 | 13838 | 5446 | -5770 | 0.163 | 0 | 0 | 0
7/4/2025 | 14 | 85823 | 12811 | -13806 | 14000 | 5483 | -5909 | 0.16 | 0 | 0 | 0
7/4/2025 | 15 | 88783 | 13158 | -14208 | 14285 | 5631 | -6081 | 0.158 | 0 | 0 | 0
7/4/2025 | 16 | 92157 | 12944 | -13858 | 14759 | 5540 | -5931 | 0.157 | 0 | 0 | 0
7/4/2025 | 17 | 94855 | 14212 | -15136 | 15506 | 6083 | -6478 | 0.161 | 0 | 0 | 0
7/4/2025 | 18 | 97582 | 14585 | -15832 | 16459 | 6242 | -6776 | 0.165 | 0 | 0 | 0
7/4/2025 | 19 | 97959 | 15932 | -16694 | 18816 | 6819 | -7145 | 0.19 | 704 | 114 | 0.162
7/4/2025 | 20 | 96028 | 16402 | -17364 | 21248 | 7020 | -7432 | 0.219 | 1612 | 425 | 0.264
7/4/2025 | 21 | 92639 | 16055 | -16698 | 21483 | 6872 | -7147 | 0.231 | 1670 | 400 | 0.24
7/4/2025 | 22 | 88760 | 15346 | -15494 | 20851 | 6568 | -6632 | 0.235 | 1341 | 258 | 0.192
7/4/2025 | 23 | 84662 | 13691 | -13308 | 20759 | 5860 | -5696 | 0.246 | 1753 | 484 | 0.276
7/4/2025 | 24 | 80670 | 13573 | -13171 | 20961 | 5810 | -5637 | 0.261 | 1768 | 511 | 0.289
7/5/2025 | 1 | 76711 | 13113 | -12759 | 20284 | 5612 | -5461 | 0.265 | 1352 | 350 | 0.259
7/5/2025 | 2 | 72946 | 13237 | -12673 | 19839 | 5666 | -5424 | 0.273 | 1317 | 302 | 0.229
7/5/2025 | 3 | 69982 | 14064 | -13798 | 19273 | 6019 | -5905 | 0.276 | 804 | 129 | 0.16
7/5/2025 | 4 | 68121 | 14419 | -14024 | 19196 | 6171 | -6003 | 0.283 | 436 | 17 | 0.039
7/5/2025 | 5 | 67397 | 14033 | -13720 | 19683 | 6006 | -5872 | 0.293 | 445 | 14 | 0.031
7/5/2025 | 6 | 67060 | 14121 | -13737 | 19504 | 6044 | -5880 | 0.292 | 467 | 27 | 0.058
7/5/2025 | 7 | 67254 | 16890 | -16149 | 17099 | 7229 | -6912 | 0.256 | 702 | 162 | 0.231
7/5/2025 | 8 | 69823 | 14436 | -14303 | 13672 | 6179 | -6122 | 0.196 | 0 | 0 | 0
7/5/2025 | 9 | 72188 | 14486 | -14779 | 12976 | 6200 | -6325 | 0.179 | 0 | 0 | 0
7/5/2025 | 10 | 74235 | 14322 | -14718 | 13568 | 6130 | -6299 | 0.181 | 0 | 0 | 0
7/5/2025 | 11 | 76607 | 14133 | -14705 | 13033 | 6049 | -6293 | 0.168 | 0 | 0 | 0
7/5/2025 | 12 | 79493 | 14208 | -15033 | 13725 | 6081 | -6434 | 0.17 | 0 | 0 | 0
7/5/2025 | 13 | 82880 | 14229 | -14793 | 15385 | 6090 | -6332 | 0.184 | 0 | 0 | 0
7/5/2025 | 14 | 85662 | 14637 | -15120 | 16236 | 6265 | -6471 | 0.188 | 0 | 0 | 0
7/5/2025 | 15 | 89280 | 14441 | -14732 | 17096 | 6181 | -6305 | 0.191 | 0 | 0 | 0
7/5/2025 | 16 | 93984 | 14554 | -15225 | 18712 | 6229 | -6516 | 0.197 | 0 | 0 | 0
7/5/2025 | 17 | 97785 | 16208 | -16844 | 19583 | 6937 | -7209 | 0.199 | 0 | 0 | 0
7/5/2025 | 18 | 101404 | 17316 | -17484 | 21856 | 7411 | -7483 | 0.215 | 0 | 0 | 0
7/5/2025 | 19 | 102276 | 18428 | -18221 | 24047 | 7887 | -7799 | 0.236 | 527 | 6 | 0.011
7/5/2025 | 20 | 100020 | 19129 | -18941 | 25686 | 8187 | -8106 | 0.257 | 686 | 85 | 0.124
7/5/2025 | 21 | 96511 | 18723 | -18297 | 25126 | 8014 | -7831 | 0.261 | 1230 | 317 | 0.258
7/5/2025 | 22 | 92283 | 16904 | -16125 | 24542 | 7235 | -6902 | 0.267 | 1827 | 528 | 0.289
7/5/2025 | 23 | 86010 | 13311 | -11806 | 23709 | 5697 | -5053 | 0.278 | 1173 | 231 | 0.197
7/5/2025 | 24 | 80163 | 13191 | -11459 | 22898 | 5646 | -4905 | 0.289 | 676 | 35 | 0.052
7/6/2025 | 1 | 75271 | 12231 | -10712 | 23100 | 5235 | -4585 | 0.309 | 787 | 57 | 0.072
7/6/2025 | 2 | 70676 | 12318 | -10537 | 22373 | 5272 | -4510 | 0.319 | 1298 | 239 | 0.184
7/6/2025 | 3 | 67756 | 12733 | -10929 | 21888 | 5450 | -4677 | 0.326 | 1526 | 300 | 0.197
7/6/2025 | 4 | 65452 | 12568 | -10697 | 21183 | 5379 | -4578 | 0.327 | 1228 | 98 | 0.08
7/6/2025 | 5 | 64885 | 12258 | -10735 | 21403 | 5246 | -4595 | 0.332 | 1034 | 11 | 0.011
7/6/2025 | 6 | 64209 | 12368 | -10605 | 21359 | 5294 | -4539 | 0.335 | 1112 | 10 | 0.009
7/6/2025 | 7 | 64700 | 14734 | -13083 | 19351 | 6306 | -5599 | 0.302 | 750 | 6 | 0.008
7/6/2025 | 8 | 67202 | 13605 | -12363 | 15618 | 5823 | -5291 | 0.236 | 36 | 0 | 0
7/6/2025 | 9 | 70083 | 12557 | -11591 | 14579 | 5374 | -4961 | 0.211 | 0 | 0 | 0
7/6/2025 | 10 | 72569 | 11980 | -11387 | 15223 | 5127 | -4874 | 0.212 | 0 | 0 | 0
7/6/2025 | 11 | 75802 | 12135 | -12102 | 15764 | 5194 | -5180 | 0.208 | 0 | 0 | 0
7/6/2025 | 12 | 79476 | 11560 | -11502 | 16852 | 4947 | -4922 | 0.212 | 0 | 0 | 0
7/6/2025 | 13 | 83587 | 12220 | -12126 | 18018 | 5230 | -5190 | 0.216 | 0 | 0 | 0
7/6/2025 | 14 | 88224 | 12834 | -12681 | 18951 | 5493 | -5427 | 0.215 | 0 | 0 | 0
7/6/2025 | 15 | 92500 | 13824 | -13384 | 19632 | 5917 | -5729 | 0.213 | 0 | 0 | 0
7/6/2025 | 16 | 98086 | 14305 | -14063 | 21025 | 6122 | -6019 | 0.215 | 0 | 0 | 0
7/6/2025 | 17 | 102656 | 14881 | -14298 | 21995 | 6369 | -6119 | 0.215 | 0 | 0 | 0
7/6/2025 | 18 | 106184 | 16372 | -15326 | 23746 | 7007 | -6560 | 0.226 | 0 | 0 | 0
7/6/2025 | 19 | 107041 | 16795 | -15567 | 26198 | 7189 | -6663 | 0.247 | 736 | 34 | 0.046
7/6/2025 | 20 | 106323 | 16955 | -15746 | 27248 | 7257 | -6739 | 0.258 | 1519 | 406 | 0.267
7/6/2025 | 21 | 102268 | 16223 | -14747 | 27528 | 6944 | -6312 | 0.271 | 1450 | 410 | 0.283
7/6/2025 | 22 | 97094 | 15717 | -14055 | 27245 | 6727 | -6015 | 0.283 | 1126 | 234 | 0.208
7/6/2025 | 23 | 89527 | 12448 | -10430 | 26815 | 5328 | -4464 | 0.302 | 1001 | 131 | 0.131
7/6/2025 | 24 | 82467 | 11780 | -9982 | 25988 | 5042 | -4272 | 0.318 | 1273 | 245 | 0.192
7/7/2025 | 1 | 77951 | 12132 | -10386 | 25470 | 5193 | -4445 | 0.329 | 1406 | 268 | 0.191
7/7/2025 | 2 | 73538 | 12060 | -10346 | 25110 | 5162 | -4428 | 0.343 | 1021 | 124 | 0.121
7/7/2025 | 3 | 70274 | 12811 | -10823 | 24539 | 5483 | -4632 | 0.351 | 1138 | 218 | 0.192
7/7/2025 | 4 | 68427 | 12713 | -10513 | 24112 | 5441 | -4500 | 0.355 | 1052 | 155 | 0.147
7/7/2025 | 5 | 68979 | 11969 | -9762 | 24269 | 5123 | -4178 | 0.354 | 924 | 88 | 0.095
7/7/2025 | 6 | 71208 | 12568 | -10514 | 24231 | 5379 | -4500 | 0.343 | 702 | 14 | 0.02
7/7/2025 | 7 | 74399 | 17840 | -15726 | 21913 | 7636 | -6731 | 0.298 | 2113 | 548 | 0.259
7/7/2025 | 8 | 78814 | 17325 | -15598 | 20021 | 7415 | -6676 | 0.258 | 95 | 11 | 0.116
7/7/2025 | 9 | 82467 | 16508 | -15145 | 20090 | 7066 | -6482 | 0.247 | 0 | 0 | 0
7/7/2025 | 10 | 85483 | 16531 | -15136 | 20518 | 7075 | -6478 | 0.243 | 0 | 0 | 0
7/7/2025 | 11 | 87900 | 16676 | -15333 | 20302 | 7138 | -6562 | 0.234 | 0 | 0 | 0
7/7/2025 | 12 | 92215 | 17115 | -16091 | 20463 | 7325 | -6887 | 0.224 | 0 | 0 | 0
7/7/2025 | 13 | 97018 | 17855 | -17053 | 21338 | 7642 | -7299 | 0.222 | 0 | 0 | 0
7/7/2025 | 14 | 101570 | 18453 | -17895 | 22413 | 7898 | -7659 | 0.222 | 0 | 0 | 0
7/7/2025 | 15 | 106549 | 19015 | -18764 | 23137 | 8138 | -8031 | 0.218 | 0 | 0 | 0
7/7/2025 | 16 | 111251 | 19894 | -20041 | 24423 | 8514 | -8577 | 0.219 | 55 | 0 | 0
7/7/2025 | 17 | 114435 | 21727 | -21715 | 25285 | 9299 | -9294 | 0.221 | 402 | 0 | 0
7/7/2025 | 18 | 117514 | 22070 | -21569 | 26582 | 9446 | -9231 | 0.227 | 318 | 8 | 0.025
7/7/2025 | 19 | 117842 | 22072 | -21421 | 28464 | 9447 | -9168 | 0.243 | 773 | 15 | 0.019
7/7/2025 | 20 | 114753 | 22463 | -21484 | 29483 | 9614 | -9195 | 0.258 | 816 | 93 | 0.114
7/7/2025 | 21 | 109742 | 21751 | -20576 | 29549 | 9309 | -8806 | 0.271 | 1088 | 186 | 0.171
7/7/2025 | 22 | 103999 | 20536 | -19150 | 28752 | 8789 | -8196 | 0.278 | 1294 | 362 | 0.28
7/7/2025 | 23 | 96223 | 13594 | -11664 | 28607 | 5818 | -4992 | 0.3 | 444 | 52 | 0.117
7/7/2025 | 24 | 87899 | 13520 | -10958 | 28397 | 5786 | -4690 | 0.326 | 776 | 101 | 0.13
7/8/2025 | 1 | 82103 | 13105 | -10380 | 27292 | 5609 | -4442 | 0.335 | 415 | 71 | 0.171
7/8/2025 | 2 | 77178 | 12945 | -10352 | 26333 | 5540 | -4430 | 0.344 | 766 | 184 | 0.24
7/8/2025 | 3 | 74141 | 13669 | -11413 | 25392 | 5850 | -4885 | 0.345 | 460 | 82 | 0.178
7/8/2025 | 4 | 72169 | 13215 | -10921 | 24933 | 5656 | -4674 | 0.348 | 488 | 109 | 0.223
7/8/2025 | 5 | 72003 | 13406 | -11225 | 24771 | 5738 | -4804 | 0.347 | 433 | 28 | 0.065
7/8/2025 | 6 | 73964 | 13421 | -11213 | 24853 | 5744 | -4799 | 0.339 | 504 | 64 | 0.127
7/8/2025 | 7 | 77010 | 17950 | -15776 | 23096 | 7682 | -6752 | 0.303 | 1492 | 413 | 0.277
7/8/2025 | 8 | 81634 | 17109 | -15384 | 20938 | 7323 | -6585 | 0.26 | 315 | 52 | 0.165
7/8/2025 | 9 | 84671 | 17105 | -15557 | 20807 | 7321 | -6659 | 0.249 | 9 | 0 | 0
7/8/2025 | 10 | 87995 | 16835 | -15624 | 21220 | 7206 | -6687 | 0.244 | 0 | 0 | 0
7/8/2025 | 11 | 90896 | 17028 | -15807 | 21375 | 7288 | -6766 | 0.238 | 0 | 0 | 0
7/8/2025 | 12 | 94637 | 17831 | -16465 | 22172 | 7632 | -7047 | 0.237 | 0 | 0 | 0
7/8/2025 | 13 | 99948 | 18254 | -17553 | 22877 | 7812 | -7513 | 0.23 | 0 | 0 | 0
7/8/2025 | 14 | 104653 | 18656 | -18040 | 23537 | 7984 | -7721 | 0.226 | 0 | 0 | 0
7/8/2025 | 15 | 110295 | 19173 | -19025 | 24221 | 8206 | -8143 | 0.22 | 0 | 0 | 0
7/8/2025 | 16 | 115444 | 19867 | -20412 | 25833 | 8503 | -8736 | 0.223 | 0 | 0 | 0
7/8/2025 | 17 | 118580 | 22536 | -22705 | 26484 | 9645 | -9718 | 0.223 | 102 | 0 | 0
7/8/2025 | 18 | 120810 | 23475 | -23332 | 27488 | 10047 | -9986 | 0.228 | 270 | 0 | 0
7/8/2025 | 19 | 120971 | 23088 | -22846 | 29286 | 9882 | -9778 | 0.242 | 129 | 0 | 0
7/8/2025 | 20 | 118246 | 23603 | -23000 | 30736 | 10102 | -9844 | 0.261 | 162 | 4 | 0.025
7/8/2025 | 21 | 112818 | 23242 | -22226 | 30751 | 9948 | -9513 | 0.274 | 443 | 42 | 0.095
7/8/2025 | 22 | 106657 | 21903 | -20325 | 29961 | 9375 | -8699 | 0.283 | 868 | 156 | 0.18
7/8/2025 | 23 | 98424 | 14257 | -12258 | 29411 | 6102 | -5246 | 0.301 | 375 | 33 | 0.088
7/8/2025 | 24 | 90574 | 13466 | -11359 | 28114 | 5763 | -4862 | 0.313 | 539 | 88 | 0.163
7/9/2025 | 1 | 84584 | 14380 | -12252 | 26609 | 6155 | -5244 | 0.317 | 434 | 48 | 0.111
7/9/2025 | 2 | 79402 | 15160 | -12664 | 24909 | 6488 | -5420 | 0.317 | 414 | 58 | 0.14
7/9/2025 | 3 | 75756 | 14605 | -12357 | 23918 | 6251 | -5289 | 0.319 | 452 | 68 | 0.15
7/9/2025 | 4 | 73260 | 15805 | -13138 | 23366 | 6764 | -5624 | 0.323 | 457 | 27 | 0.059
7/9/2025 | 5 | 73171 | 15389 | -12827 | 23352 | 6587 | -5490 | 0.323 | 493 | 16 | 0.032
7/9/2025 | 6 | 74722 | 15692 | -13094 | 23485 | 6716 | -5604 | 0.318 | 448 | 7 | 0.016
7/9/2025 | 7 | 78151 | 18277 | -16187 | 22112 | 7823 | -6928 | 0.287 | 1123 | 208 | 0.185
7/9/2025 | 8 | 83088 | 16844 | -15472 | 20501 | 7209 | -6622 | 0.25 | 375 | 28 | 0.075
7/9/2025 | 9 | 86856 | 16858 | -16032 | 20041 | 7215 | -6861 | 0.233 | 20 | 0 | 0
7/9/2025 | 10 | 90006 | 17358 | -16857 | 20517 | 7429 | -7215 | 0.229 | 0 | 0 | 0
7/9/2025 | 11 | 92845 | 18156 | -17584 | 20636 | 7771 | -7526 | 0.224 | 0 | 0 | 0
7/9/2025 | 12 | 97086 | 18291 | -17918 | 21132 | 7829 | -7669 | 0.218 | 0 | 0 | 0
7/9/2025 | 13 | 101664 | 18947 | -18811 | 21943 | 8109 | -8051 | 0.216 | 0 | 0 | 0
7/9/2025 | 14 | 106434 | 19363 | -19503 | 22615 | 8287 | -8348 | 0.212 | 0 | 0 | 0
7/9/2025 | 15 | 110833 | 20676 | -20716 | 23794 | 8849 | -8867 | 0.215 | 0 | 0 | 0
7/9/2025 | 16 | 115074 | 20903 | -20895 | 24894 | 8947 | -8943 | 0.216 | 0 | 0 | 0
7/9/2025 | 17 | 117837 | 22674 | -22180 | 25618 | 9704 | -9493 | 0.218 | 0 | 0 | 0
7/9/2025 | 18 | 120532 | 23931 | -23892 | 26339 | 10242 | -10226 | 0.219 | 463 | 58 | 0.125
7/9/2025 | 19 | 121056 | 24425 | -24258 | 28051 | 10454 | -10382 | 0.232 | 607 | 11 | 0.018
7/9/2025 | 20 | 117846 | 24083 | -23715 | 29278 | 10307 | -10150 | 0.249 | 1108 | 201 | 0.181
7/9/2025 | 21 | 112804 | 23108 | -21838 | 29224 | 9890 | -9347 | 0.261 | 1216 | 217 | 0.178
7/9/2025 | 22 | 107489 | 21407 | -19661 | 28193 | 9162 | -8415 | 0.265 | 950 | 103 | 0.108
7/9/2025 | 23 | 100282 | 14708 | -13753 | 28440 | 6295 | -5886 | 0.285 | 80 | 0 | 0
7/9/2025 | 24 | 92613 | 14256 | -13015 | 26953 | 6101 | -5571 | 0.293 | 284 | 8 | 0.028
7/10/2025 | 1 | 86230 | 13602 | -12038 | 25870 | 5822 | -5152 | 0.302 | 552 | 112 | 0.203
7/10/2025 | 2 | 81170 | 14001 | -12173 | 24541 | 5993 | -5210 | 0.305 | 854 | 197 | 0.231
7/10/2025 | 3 | 77388 | 14224 | -12305 | 23247 | 6088 | -5266 | 0.303 | 758 | 73 | 0.096
7/10/2025 | 4 | 75434 | 14014 | -12431 | 22508 | 5998 | -5320 | 0.301 | 743 | 31 | 0.042
7/10/2025 | 5 | 75678 | 13860 | -12480 | 22857 | 5932 | -5341 | 0.304 | 519 | 0 | 0
7/10/2025 | 6 | 77331 | 14110 | -12738 | 23287 | 6039 | -5452 | 0.303 | 87 | 0 | 0
7/10/2025 | 7 | 80398 | 16797 | -15771 | 21530 | 7189 | -6750 | 0.27 | 1234 | 296 | 0.24
7/10/2025 | 8 | 84703 | 16099 | -15173 | 19154 | 6890 | -6494 | 0.228 | 181 | 10 | 0.055
7/10/2025 | 9 | 87577 | 16550 | -15597 | 18303 | 7084 | -6676 | 0.211 | 0 | 0 | 0
7/10/2025 | 10 | 90584 | 16874 | -15851 | 18931 | 7222 | -6784 | 0.211 | 0 | 0 | 0
7/10/2025 | 11 | 94028 | 16784 | -16247 | 20103 | 7184 | -6953 | 0.215 | 0 | 0 | 0
7/10/2025 | 12 | 97333 | 16645 | -16355 | 21076 | 7124 | -7000 | 0.217 | 0 | 0 | 0
7/10/2025 | 13 | 101066 | 17207 | -16916 | 21686 | 7364 | -7240 | 0.215 | 0 | 0 | 0
7/10/2025 | 14 | 105784 | 17689 | -17273 | 22850 | 7571 | -7393 | 0.217 | 0 | 0 | 0
7/10/2025 | 15 | 110653 | 18803 | -18428 | 23766 | 8048 | -7887 | 0.216 | 0 | 0 | 0
7/10/2025 | 16 | 115555 | 19137 | -18862 | 24459 | 8191 | -8073 | 0.212 | 0 | 0 | 0
7/10/2025 | 17 | 118762 | 20777 | -20748 | 24562 | 8892 | -8880 | 0.207 | 318 | 1 | 0.003
7/10/2025 | 18 | 121983 | 20883 | -20868 | 25040 | 8938 | -8932 | 0.205 | 438 | 22 | 0.05
7/10/2025 | 19 | 123158 | 21615 | -21586 | 27003 | 9251 | -9239 | 0.219 | 675 | 1 | 0.001
7/10/2025 | 20 | 120779 | 21564 | -21787 | 29475 | 9229 | -9325 | 0.244 | 625 | 5 | 0.008
7/10/2025 | 21 | 115842 | 21151 | -21046 | 29707 | 9052 | -9007 | 0.257 | 763 | 58 | 0.076
7/10/2025 | 22 | 110563 | 18930 | -18328 | 29124 | 8102 | -7844 | 0.264 | 816 | 63 | 0.077
7/10/2025 | 23 | 101744 | 13607 | -12036 | 28839 | 5824 | -5151 | 0.286 | 850 | 63 | 0.074
7/10/2025 | 24 | 93012 | 13223 | -11358 | 27697 | 5659 | -4861 | 0.3 | 1024 | 156 | 0.152
7/11/2025 | 1 | 86766 | 12791 | -11032 | 26834 | 5475 | -4722 | 0.312 | 653 | 43 | 0.066
7/11/2025 | 2 | 81060 | 12688 | -10512 | 25594 | 5430 | -4499 | 0.319 | 428 | 1 | 0.002
7/11/2025 | 3 | 77620 | 12391 | -10211 | 24654 | 5304 | -4370 | 0.321 | 689 | 105 | 0.152
7/11/2025 | 4 | 75573 | 12209 | -10149 | 24242 | 5225 | -4344 | 0.324 | 1051 | 258 | 0.245
7/11/2025 | 5 | 75496 | 11970 | -10109 | 24375 | 5123 | -4327 | 0.325 | 896 | 197 | 0.22
7/11/2025 | 6 | 77254 | 11968 | -10286 | 24460 | 5122 | -4402 | 0.319 | 877 | 148 | 0.169
7/11/2025 | 7 | 80308 | 14549 | -13403 | 22799 | 6227 | -5736 | 0.286 | 1493 | 352 | 0.236
7/11/2025 | 8 | 84696 | 14323 | -13578 | 20878 | 6130 | -5811 | 0.248 | 421 | 22 | 0.052
7/11/2025 | 9 | 88183 | 14451 | -13755 | 20663 | 6185 | -5887 | 0.236 | 160 | 2 | 0.013
7/11/2025 | 10 | 91001 | 15069 | -14492 | 21441 | 6450 | -6202 | 0.237 | 279 | 3 | 0.011
7/11/2025 | 11 | 93995 | 15623 | -15181 | 22299 | 6687 | -6498 | 0.238 | 190 | 0 | 0
7/11/2025 | 12 | 97845 | 15532 | -15203 | 22614 | 6648 | -6507 | 0.232 | 113 | 0 | 0
7/11/2025 | 13 | 102627 | 15749 | -15584 | 23257 | 6740 | -6670 | 0.227 | 71 | 0 | 0
7/11/2025 | 14 | 107201 | 15900 | -15592 | 24212 | 6805 | -6673 | 0.226 | 137 | 0 | 0
7/11/2025 | 15 | 111516 | 17268 | -16763 | 25153 | 7390 | -7175 | 0.226 | 179 | 0 | 0
7/11/2025 | 16 | 116547 | 18246 | -18334 | 25986 | 7809 | -7847 | 0.223 | 663 | 79 | 0.119
7/11/2025 | 17 | 120257 | 19337 | -19560 | 26631 | 8276 | -8372 | 0.221 | 624 | 42 | 0.067
7/11/2025 | 18 | 122213 | 20213 | -20307 | 27599 | 8651 | -8691 | 0.226 | 396 | 10 | 0.025
7/11/2025 | 19 | 120784 | 20203 | -19748 | 28475 | 8647 | -8452 | 0.236 | 439 | 0 | 0
7/11/2025 | 20 | 117776 | 20906 | -20217 | 29683 | 8948 | -8653 | 0.253 | 640 | 12 | 0.019
7/11/2025 | 21 | 112762 | 20893 | -19838 | 29746 | 8942 | -8491 | 0.265 | 969 | 95 | 0.098
7/11/2025 | 22 | 107443 | 18430 | -16902 | 29048 | 7888 | -7234 | 0.273 | 1098 | 188 | 0.171
7/11/2025 | 23 | 99762 | 13459 | -11702 | 28811 | 5760 | -5008 | 0.291 | 1180 | 218 | 0.185
7/11/2025 | 24 | 92024 | 12662 | -10868 | 27626 | 5419 | -4652 | 0.303 | 1252 | 222 | 0.177
7/12/2025 | 1 | 85643 | 12719 | -10608 | 26200 | 5444 | -4540 | 0.309 | 798 | 99 | 0.124
7/12/2025 | 2 | 80340 | 13098 | -10998 | 24778 | 5606 | -4707 | 0.311 | 520 | 60 | 0.115
7/12/2025 | 3 | 75988 | 13356 | -11170 | 23592 | 5716 | -4781 | 0.314 | 544 | 29 | 0.053
7/12/2025 | 4 | 73486 | 13543 | -11384 | 22800 | 5796 | -4872 | 0.314 | 736 | 88 | 0.12
7/12/2025 | 5 | 72260 | 13088 | -11000 | 22191 | 5602 | -4708 | 0.31 | 954 | 182 | 0.191
7/12/2025 | 6 | 71810 | 13022 | -11210 | 22141 | 5573 | -4798 | 0.311 | 1019 | 203 | 0.199
7/12/2025 | 7 | 72488 | 16092 | -14324 | 19939 | 6887 | -6131 | 0.279 | 1226 | 278 | 0.227
7/12/2025 | 8 | 76180 | 15070 | -13797 | 17941 | 6450 | -5905 | 0.239 | 174 | 3 | 0.017
7/12/2025 | 9 | 80281 | 15096 | -13969 | 17595 | 6461 | -5979 | 0.222 | 0 | 0 | 0
7/12/2025 | 10 | 83691 | 15170 | -14152 | 18084 | 6492 | -6057 | 0.219 | 0 | 0 | 0
7/12/2025 | 11 | 86608 | 15506 | -14393 | 18943 | 6636 | -6160 | 0.221 | 0 | 0 | 0
7/12/2025 | 12 | 89875 | 15490 | -14606 | 19090 | 6630 | -6252 | 0.215 | 0 | 0 | 0
7/12/2025 | 13 | 93458 | 16239 | -15233 | 19173 | 6950 | -6520 | 0.208 | 0 | 0 | 0
7/12/2025 | 14 | 97930 | 16150 | -15245 | 20140 | 6912 | -6525 | 0.208 | 0 | 0 | 0
7/12/2025 | 15 | 102994 | 16739 | -15769 | 21648 | 7164 | -6749 | 0.212 | 0 | 0 | 0
7/12/2025 | 16 | 108440 | 17010 | -16559 | 22650 | 7280 | -7087 | 0.21 | 0 | 0 | 0
7/12/2025 | 17 | 112470 | 18039 | -17527 | 23894 | 7721 | -7502 | 0.213 | 0 | 0 | 0
7/12/2025 | 18 | 115135 | 19392 | -18603 | 25283 | 8300 | -7962 | 0.221 | 10 | 0 | 0
7/12/2025 | 19 | 115603 | 19746 | -18652 | 26808 | 8452 | -7983 | 0.234 | 221 | 0 | 0
7/12/2025 | 20 | 113124 | 20648 | -19454 | 27354 | 8837 | -8326 | 0.244 | 16 | 0 | 0
7/12/2025 | 21 | 108537 | 20409 | -19194 | 27270 | 8735 | -8215 | 0.253 | 250 | 16 | 0.064
7/12/2025 | 22 | 103414 | 19221 | -18088 | 27011 | 8226 | -7742 | 0.263 | 885 | 165 | 0.186
7/12/2025 | 23 | 96049 | 14279 | -12706 | 26920 | 6111 | -5438 | 0.283 | 930 | 160 | 0.172
7/12/2025 | 24 | 88588 | 13969 | -11874 | 26022 | 5979 | -5082 | 0.297 | 882 | 130 | 0.147
7/13/2025 | 1 | 83642 | 13664 | -11993 | 25180 | 5848 | -5133 | 0.304 | 551 | 45 | 0.082
7/13/2025 | 2 | 78738 | 13285 | -11741 | 24131 | 5686 | -5025 | 0.309 | 404 | 0 | 0
7/13/2025 | 3 | 75212 | 13367 | -11454 | 23793 | 5721 | -4902 | 0.319 | 606 | 99 | 0.163
7/13/2025 | 4 | 73000 | 13373 | -11342 | 23323 | 5724 | -4854 | 0.322 | 815 | 159 | 0.195
7/13/2025 | 5 | 71030 | 13243 | -11262 | 22925 | 5668 | -4820 | 0.326 | 618 | 82 | 0.133
7/13/2025 | 6 | 70142 | 13186 | -11070 | 22552 | 5643 | -4738 | 0.325 | 593 | 74 | 0.125
7/13/2025 | 7 | 69942 | 14639 | -12700 | 20795 | 6266 | -5435 | 0.301 | 1421 | 372 | 0.262
7/13/2025 | 8 | 73031 | 13226 | -12166 | 18168 | 5660 | -5207 | 0.251 | 361 | 49 | 0.136
7/13/2025 | 9 | 76745 | 13926 | -12861 | 17174 | 5960 | -5504 | 0.227 | 146 | 0 | 0
7/13/2025 | 10 | 79947 | 14496 | -13264 | 17653 | 6204 | -5677 | 0.224 | 93 | 0 | 0
7/13/2025 | 11 | 82922 | 14710 | -13305 | 18095 | 6296 | -5695 | 0.222 | 0 | 0 | 0
7/13/2025 | 12 | 87345 | 14036 | -12559 | 18679 | 6008 | -5376 | 0.217 | 0 | 0 | 0
7/13/2025 | 13 | 91894 | 15306 | -13963 | 19256 | 6551 | -5976 | 0.213 | 0 | 0 | 0
7/13/2025 | 14 | 98292 | 15965 | -15006 | 20369 | 6833 | -6423 | 0.209 | 0 | 0 | 0
7/13/2025 | 15 | 104517 | 17260 | -16886 | 21582 | 7388 | -7228 | 0.207 | 0 | 0 | 0
7/13/2025 | 16 | 110108 | 17003 | -16936 | 22588 | 7277 | -7249 | 0.205 | 0 | 0 | 0
7/13/2025 | 17 | 114527 | 17581 | -17592 | 23690 | 7525 | -7529 | 0.207 | 0 | 0 | 0
7/13/2025 | 18 | 117982 | 18221 | -18541 | 25585 | 7798 | -7935 | 0.216 | 185 | 0 | 0
7/13/2025 | 19 | 119143 | 18076 | -18411 | 27324 | 7737 | -7880 | 0.229 | 659 | 0 | 0
7/13/2025 | 20 | 116157 | 18089 | -17679 | 28284 | 7742 | -7567 | 0.244 | 1677 | 329 | 0.196
7/13/2025 | 21 | 111943 | 17435 | -16770 | 28256 | 7462 | -7178 | 0.253 | 1944 | 682 | 0.351
7/13/2025 | 22 | 105953 | 16833 | -15427 | 27912 | 7205 | -6603 | 0.266 | 2338 | 644 | 0.275
7/13/2025 | 23 | 97833 | 13006 | -11163 | 27399 | 5567 | -4778 | 0.283 | 1271 | 278 | 0.219
7/13/2025 | 24 | 89977 | 13818 | -11392 | 26521 | 5914 | -4876 | 0.298 | 1293 | 286 | 0.221
7/14/2025 | 1 | 84602 | 13464 | -11135 | 26015 | 5762 | -4766 | 0.311 | 692 | 111 | 0.16
7/14/2025 | 2 | 79666 | 13110 | -10624 | 24960 | 5611 | -4547 | 0.317 | 682 | 135 | 0.198
7/14/2025 | 3 | 76033 | 13175 | -10679 | 24012 | 5639 | -4570 | 0.319 | 628 | 138 | 0.22
7/14/2025 | 4 | 74459 | 12962 | -10720 | 23620 | 5548 | -4589 | 0.32 | 567 | 129 | 0.228
7/14/2025 | 5 | 73916 | 13063 | -10770 | 23660 | 5591 | -4609 | 0.323 | 629 | 139 | 0.221
7/14/2025 | 6 | 76542 | 13044 | -10970 | 23992 | 5583 | -4695 | 0.316 | 649 | 126 | 0.194
7/14/2025 | 7 | 80328 | 16381 | -14572 | 24855 | 7011 | -6237 | 0.312 | 1824 | 570 | 0.312
7/14/2025 | 8 | 84822 | 15974 | -14376 | 22092 | 6837 | -6153 | 0.264 | 704 | 158 | 0.224
7/14/2025 | 9 | 88001 | 16243 | -14669 | 21149 | 6952 | -6279 | 0.244 | 130 | 13 | 0.1
7/14/2025 | 10 | 89867 | 16488 | -15007 | 21164 | 7057 | -6423 | 0.239 | 97 | 0 | 0
7/14/2025 | 11 | 93924 | 16874 | -15851 | 21425 | 7222 | -6784 | 0.23 | 8 | 0 | 0
7/14/2025 | 12 | 97747 | 16797 | -16303 | 21681 | 7189 | -6978 | 0.223 | 28 | 0 | 0
7/14/2025 | 13 | 102522 | 16660 | -16270 | 22467 | 7130 | -6964 | 0.22 | 3 | 0 | 0
7/14/2025 | 14 | 107560 | 17094 | -16640 | 23335 | 7317 | -7122 | 0.218 | 56 | 0 | 0
7/14/2025 | 15 | 111730 | 18126 | -17565 | 23698 | 7758 | -7518 | 0.213 | 379 | 17 | 0.045
7/14/2025 | 16 | 116041 | 19136 | -18534 | 24530 | 8190 | -7933 | 0.213 | 593 | 24 | 0.04
7/14/2025 | 17 | 118734 | 21911 | -20761 | 24886 | 9378 | -8886 | 0.212 | 1036 | 115 | 0.111
7/14/2025 | 18 | 120634 | 22303 | -21077 | 26010 | 9546 | -9021 | 0.218 | 1333 | 175 | 0.131
7/14/2025 | 19 | 119357 | 22589 | -20950 | 26915 | 9668 | -8967 | 0.228 | 1247 | 188 | 0.151
7/14/2025 | 20 | 116083 | 22774 | -20953 | 28042 | 9747 | -8968 | 0.244 | 1982 | 599 | 0.302
7/14/2025 | 21 | 111462 | 22216 | -20156 | 27734 | 9508 | -8627 | 0.252 | 1692 | 452 | 0.267
7/14/2025 | 22 | 106766 | 20156 | -18468 | 27505 | 8627 | -7904 | 0.26 | 1639 | 393 | 0.24
7/14/2025 | 23 | 99199 | 13846 | -12414 | 26834 | 5926 | -5313 | 0.273 | 1506 | 280 | 0.186
7/14/2025 | 24 | 90686 | 14197 | -12107 | 26326 | 6076 | -5182 | 0.293 | 1554 | 311 | 0.2
7/15/2025 | 1 | 84615 | 13738 | -11479 | 25516 | 5880 | -4913 | 0.305 | 417 | 10 | 0.024
7/15/2025 | 2 | 80344 | 13172 | -10996 | 24677 | 5638 | -4706 | 0.31 | 535 | 44 | 0.082
7/15/2025 | 3 | 76504 | 12943 | -10760 | 24116 | 5540 | -4605 | 0.318 | 558 | 25 | 0.045
7/15/2025 | 4 | 75049 | 12703 | -10682 | 23790 | 5437 | -4572 | 0.32 | 742 | 82 | 0.111
7/15/2025 | 5 | 75148 | 12763 | -10842 | 23502 | 5462 | -4640 | 0.316 | 475 | 0 | 0
7/15/2025 | 6 | 77014 | 13242 | -11424 | 23659 | 5667 | -4889 | 0.31 | 438 | 15 | 0.034
7/15/2025 | 7 | 79888 | 17603 | -15874 | 22564 | 7534 | -6794 | 0.286 | 1280 | 320 | 0.25
7/15/2025 | 8 | 83849 | 16420 | -15221 | 20153 | 7028 | -6514 | 0.243 | 345 | 34 | 0.099
7/15/2025 | 9 | 86855 | 15629 | -14642 | 19701 | 6689 | -6267 | 0.229 | 0 | 0 | 0
7/15/2025 | 10 | 89796 | 15929 | -15222 | 19472 | 6818 | -6515 | 0.219 | 0 | 0 | 0
7/15/2025 | 11 | 92060 | 15882 | -15172 | 19438 | 6798 | -6494 | 0.213 | 0 | 0 | 0
7/15/2025 | 12 | 94473 | 16098 | -15306 | 19575 | 6890 | -6551 | 0.209 | 0 | 0 | 0
7/15/2025 | 13 | 97806 | 16590 | -15742 | 19629 | 7100 | -6737 | 0.203 | 0 | 0 | 0
7/15/2025 | 14 | 102527 | 17016 | -16417 | 20486 | 7283 | -7026 | 0.201 | 0 | 0 | 0
7/15/2025 | 15 | 107545 | 17725 | -17406 | 21229 | 7586 | -7450 | 0.198 | 0 | 0 | 0
7/15/2025 | 16 | 111404 | 17884 | -17678 | 21347 | 7654 | -7567 | 0.192 | 0 | 0 | 0
7/15/2025 | 17 | 114685 | 19574 | -19174 | 22490 | 8378 | -8207 | 0.197 | 1 | 0 | 0
7/15/2025 | 18 | 116644 | 20133 | -19748 | 23697 | 8617 | -8452 | 0.204 | 522 | 22 | 0.042
7/15/2025 | 19 | 116631 | 20637 | -19948 | 25132 | 8832 | -8538 | 0.217 | 668 | 0 | 0
7/15/2025 | 20 | 113604 | 20853 | -20002 | 26579 | 8925 | -8561 | 0.235 | 528 | 0 | 0
7/15/2025 | 21 | 109532 | 20449 | -19186 | 26308 | 8752 | -8212 | 0.242 | 867 | 74 | 0.085
7/15/2025 | 22 | 104804 | 19023 | -17884 | 26056 | 8142 | -7654 | 0.251 | 970 | 134 | 0.138
7/15/2025 | 23 | 96432 | 14325 | -12718 | 26120 | 6131 | -5443 | 0.273 | 378 | 7 | 0.019
7/15/2025 | 24 | 89053 | 14243 | -12390 | 25635 | 6096 | -5303 | 0.291 | 726 | 61 | 0.084
7/16/2025 | 1 | 82824 | 13437 | -11259 | 24622 | 5751 | -4819 | 0.301 | 512 | 22 | 0.043
7/16/2025 | 2 | 78158 | 13059 | -10692 | 23719 | 5589 | -4576 | 0.307 | 702 | 111 | 0.158
7/16/2025 | 3 | 75131 | 12910 | -10540 | 23355 | 5526 | -4511 | 0.314 | 802 | 139 | 0.173
7/16/2025 | 4 | 73372 | 12931 | -10403 | 23050 | 5534 | -4452 | 0.318 | 722 | 111 | 0.154
7/16/2025 | 5 | 73418 | 12881 | -10365 | 23134 | 5513 | -4436 | 0.319 | 442 | 8 | 0.018
7/16/2025 | 6 | 75391 | 12717 | -10331 | 24664 | 5443 | -4422 | 0.33 | 395 | 3 | 0.008
7/16/2025 | 7 | 78845 | 15842 | -14273 | 22835 | 6780 | -6108 | 0.292 | 953 | 198 | 0.208
7/16/2025 | 8 | 82310 | 16046 | -14647 | 21105 | 6868 | -6268 | 0.259 | 270 | 0 | 0
7/16/2025 | 9 | 85538 | 17050 | -16081 | 20533 | 7297 | -6883 | 0.242 | 0 | 0 | 0
7/16/2025 | 10 | 87536 | 16999 | -16236 | 20727 | 7276 | -6949 | 0.238 | 12 | 0 | 0
7/16/2025 | 11 | 90847 | 17302 | -16977 | 20922 | 7405 | -7266 | 0.231 | 2 | 0 | 0
7/16/2025 | 12 | 93027 | 17130 | -16692 | 20966 | 7332 | -7145 | 0.226 | 0 | 0 | 0
7/16/2025 | 13 | 95123 | 18524 | -18018 | 21012 | 7929 | -7712 | 0.222 | 312 | 4 | 0.013
7/16/2025 | 14 | 98656 | 19119 | -18461 | 21612 | 8183 | -7901 | 0.22 | 233 | 0 | 0
7/16/2025 | 15 | 102672 | 19490 | -18702 | 22121 | 8342 | -8005 | 0.217 | 343 | 14 | 0.041
7/16/2025 | 16 | 106334 | 19606 | -19091 | 22183 | 8391 | -8171 | 0.21 | 274 | 1 | 0.004
7/16/2025 | 17 | 109659 | 20302 | -19319 | 22887 | 8690 | -8269 | 0.211 | 16 | 0 | 0
7/16/2025 | 18 | 112131 | 21163 | -19932 | 23656 | 9058 | -8531 | 0.213 | 230 | 0 | 0
7/16/2025 | 19 | 112209 | 20543 | -19227 | 25059 | 8792 | -8229 | 0.226 | 436 | 0 | 0
7/16/2025 | 20 | 109015 | 20469 | -18986 | 26224 | 8761 | -8126 | 0.243 | 849 | 54 | 0.064
7/16/2025 | 21 | 105284 | 20224 | -18367 | 25984 | 8656 | -7861 | 0.25 | 797 | 136 | 0.171
7/16/2025 | 22 | 101042 | 18284 | -16531 | 25034 | 7826 | -7075 | 0.251 | 773 | 95 | 0.123
7/16/2025 | 23 | 93776 | 13523 | -11330 | 25112 | 5788 | -4849 | 0.271 | 446 | 27 | 0.061
7/16/2025 | 24 | 86996 | 13306 | -11220 | 24673 | 5695 | -4802 | 0.287 | 585 | 72 | 0.123
7/17/2025 | 1 | 81683 | 14567 | -12336 | 24338 | 6234 | -5280 | 0.301 | 296 | 49 | 0.166
7/17/2025 | 2 | 77508 | 14497 | -12285 | 23682 | 6205 | -5258 | 0.309 | 279 | 0 | 0
7/17/2025 | 3 | 74512 | 14205 | -12033 | 23196 | 6080 | -5150 | 0.315 | 221 | 0 | 0
7/17/2025 | 4 | 73084 | 14112 | -11993 | 22964 | 6040 | -5133 | 0.317 | 223 | 0 | 0
7/17/2025 | 5 | 73067 | 14236 | -12189 | 22898 | 6093 | -5217 | 0.317 | 234 | 0 | 0
7/17/2025 | 6 | 74967 | 14399 | -12366 | 22873 | 6163 | -5292 | 0.308 | 277 | 2 | 0.007
7/17/2025 | 7 | 78320 | 15749 | -14020 | 22503 | 6741 | -6000 | 0.29 | 1072 | 281 | 0.262
7/17/2025 | 8 | 81306 | 14122 | -12582 | 20520 | 6044 | -5385 | 0.256 | 410 | 88 | 0.215
7/17/2025 | 9 | 84236 | 15145 | -13994 | 20075 | 6482 | -5989 | 0.241 | 255 | 2 | 0.008
7/17/2025 | 10 | 86611 | 15085 | -14000 | 19540 | 6456 | -5992 | 0.228 | 286 | 14 | 0.049
7/17/2025 | 11 | 89652 | 14866 | -14010 | 19361 | 6362 | -5996 | 0.218 | 219 | 0 | 0
7/17/2025 | 12 | 92584 | 14698 | -13905 | 19822 | 6291 | -5951 | 0.216 | 16 | 0 | 0
7/17/2025 | 13 | 95150 | 15511 | -14617 | 20263 | 6639 | -6256 | 0.215 | 0 | 0 | 0
7/17/2025 | 14 | 100744 | 15962 | -15319 | 21501 | 6832 | -6556 | 0.215 | 0 | 0 | 0
7/17/2025 | 15 | 105676 | 16566 | -15810 | 22345 | 7090 | -6767 | 0.213 | 0 | 0 | 0
7/17/2025 | 16 | 108288 | 16819 | -15909 | 23127 | 7198 | -6809 | 0.215 | 15 | 0 | 0
7/17/2025 | 17 | 110344 | 18272 | -17385 | 24003 | 7820 | -7441 | 0.219 | 0 | 0 | 0
7/17/2025 | 18 | 112217 | 19620 | -17883 | 24899 | 8397 | -7654 | 0.225 | 453 | 0 | 0
7/17/2025 | 19 | 112289 | 19692 | -17930 | 26246 | 8428 | -7674 | 0.237 | 866 | 41 | 0.047
7/17/2025 | 20 | 109643 | 19432 | -17788 | 26527 | 8317 | -7614 | 0.245 | 1189 | 252 | 0.212
7/17/2025 | 21 | 106450 | 18077 | -17044 | 26241 | 7737 | -7295 | 0.248 | 1165 | 187 | 0.161
7/17/2025 | 22 | 102043 | 17517 | -16321 | 25976 | 7498 | -6985 | 0.257 | 1428 | 227 | 0.159
7/17/2025 | 23 | 95044 | 13905 | -12481 | 25524 | 5951 | -5342 | 0.271 | 1010 | 99 | 0.098
7/17/2025 | 24 | 88644 | 13399 | -11889 | 25127 | 5735 | -5088 | 0.286 | 1211 | 175 | 0.145
7/18/2025 | 1 | 83616 | 13192 | -11499 | 24868 | 5646 | -4922 | 0.3 | 522 | 10 | 0.019
7/18/2025 | 2 | 77999 | 12873 | -11049 | 24151 | 5510 | -4729 | 0.312 | 556 | 27 | 0.049
7/18/2025 | 3 | 74633 | 12646 | -10745 | 23310 | 5413 | -4599 | 0.315 | 328 | 10 | 0.03
7/18/2025 | 4 | 72731 | 12693 | -10678 | 22904 | 5433 | -4570 | 0.318 | 332 | 0 | 0
7/18/2025 | 5 | 73078 | 12622 | -10718 | 23086 | 5402 | -4587 | 0.319 | 634 | 73 | 0.115
7/18/2025 | 6 | 74625 | 13011 | -10794 | 24053 | 5568 | -4620 | 0.325 | 789 | 120 | 0.152
7/18/2025 | 7 | 77399 | 14709 | -12387 | 22683 | 6296 | -5302 | 0.297 | 1734 | 505 | 0.291
7/18/2025 | 8 | 80741 | 14203 | -12107 | 20182 | 6079 | -5182 | 0.254 | 451 | 73 | 0.162
7/18/2025 | 9 | 83826 | 14756 | -12840 | 19732 | 6316 | -5496 | 0.24 | 134 | 0 | 0
7/18/2025 | 10 | 87118 | 14732 | -12980 | 20026 | 6306 | -5555 | 0.234 | 69 | 0 | 0
7/18/2025 | 11 | 90034 | 14977 | -13497 | 20348 | 6410 | -5777 | 0.229 | 0 | 0 | 0
7/18/2025 | 12 | 92559 | 14931 | -13603 | 20978 | 6390 | -5822 | 0.229 | 152 | 0 | 0
7/18/2025 | 13 | 96033 | 15714 | -14496 | 21694 | 6725 | -6204 | 0.228 | 180 | 0 | 0
7/18/2025 | 14 | 100294 | 16277 | -15598 | 22341 | 6966 | -6676 | 0.224 | 43 | 0 | 0
7/18/2025 | 15 | 103479 | 16324 | -16220 | 22393 | 6987 | -6942 | 0.217 | 20 | 0 | 0
7/18/2025 | 16 | 106731 | 16846 | -17190 | 22416 | 7210 | -7357 | 0.209 | 23 | 0 | 0
7/18/2025 | 17 | 108868 | 18225 | -18535 | 22438 | 7800 | -7933 | 0.205 | 0 | 0 | 0
7/18/2025 | 18 | 110940 | 18810 | -18891 | 23562 | 8050 | -8085 | 0.212 | 0 | 0 | 0
7/18/2025 | 19 | 110493 | 19736 | -19810 | 25256 | 8447 | -8479 | 0.228 | 270 | 0 | 0
7/18/2025 | 20 | 107968 | 19578 | -19506 | 26243 | 8379 | -8348 | 0.243 | 933 | 53 | 0.057
7/18/2025 | 21 | 103566 | 18751 | -17680 | 25681 | 8025 | -7567 | 0.25 | 1110 | 214 | 0.193
7/18/2025 | 22 | 98764 | 18322 | -16688 | 24586 | 7842 | -7142 | 0.252 | 1334 | 346 | 0.259
7/18/2025 | 23 | 92824 | 14876 | -13191 | 25057 | 6367 | -5646 | 0.273 | 1264 | 216 | 0.171
7/18/2025 | 24 | 86242 | 14805 | -12817 | 24878 | 6337 | -5486 | 0.292 | 1153 | 204 | 0.177
7/19/2025 | 1 | 81787 | 14696 | -12704 | 23962 | 6290 | -5437 | 0.296 | 2031 | 714 | 0.352
7/19/2025 | 2 | 77375 | 14052 | -12019 | 22850 | 6014 | -5144 | 0.299 | 1050 | 192 | 0.183
7/19/2025 | 3 | 74089 | 14109 | -12240 | 20988 | 6038 | -5239 | 0.287 | 606 | 98 | 0.162
7/19/2025 | 4 | 72103 | 14071 | -12462 | 20157 | 6023 | -5334 | 0.283 | 980 | 232 | 0.237
7/19/2025 | 5 | 71158 | 14142 | -12668 | 19555 | 6053 | -5422 | 0.278 | 971 | 227 | 0.234
7/19/2025 | 6 | 71242 | 14150 | -12583 | 19343 | 6056 | -5386 | 0.275 | 1181 | 300 | 0.254
7/19/2025 | 7 | 71336 | 16606 | -15110 | 18691 | 7107 | -6467 | 0.265 | 1566 | 445 | 0.284
7/19/2025 | 8 | 74165 | 15617 | -14381 | 16053 | 6684 | -6155 | 0.22 | 208 | 4 | 0.019
7/19/2025 | 9 | 77411 | 15705 | -14252 | 15010 | 6722 | -6100 | 0.198 | 0 | 0 | 0
7/19/2025 | 10 | 80413 | 15715 | -14235 | 15472 | 6726 | -6092 | 0.197 | 97 | 0 | 0
7/19/2025 | 11 | 82607 | 15106 | -13944 | 15530 | 6466 | -5968 | 0.191 | 0 | 0 | 0
7/19/2025 | 12 | 85788 | 14663 | -13944 | 16051 | 6276 | -5968 | 0.189 | 0 | 0 | 0
7/19/2025 | 13 | 87818 | 15981 | -15295 | 16776 | 6840 | -6546 | 0.193 | 0 | 0 | 0
7/19/2025 | 14 | 90606 | 16177 | -15388 | 16966 | 6923 | -6586 | 0.189 | 0 | 0 | 0
7/19/2025 | 15 | 95609 | 17333 | -17249 | 17495 | 7418 | -7383 | 0.183 | 0 | 0 | 0
7/19/2025 | 16 | 99532 | 16224 | -15991 | 18556 | 6944 | -6844 | 0.187 | 0 | 0 | 0
7/19/2025 | 17 | 102206 | 18826 | -18582 | 19615 | 8057 | -7953 | 0.192 | 0 | 0 | 0
7/19/2025 | 18 | 104967 | 19511 | -19030 | 21421 | 8351 | -8145 | 0.205 | 0 | 0 | 0
7/19/2025 | 19 | 106182 | 19818 | -19126 | 23380 | 8482 | -8186 | 0.222 | 515 | 0 | 0
7/19/2025 | 20 | 103611 | 19646 | -18837 | 24181 | 8408 | -8063 | 0.235 | 915 | 46 | 0.05
7/19/2025 | 21 | 100045 | 19358 | -18580 | 23942 | 8286 | -7952 | 0.241 | 1086 | 126 | 0.116
7/19/2025 | 22 | 95943 | 18102 | -17153 | 23294 | 7748 | -7342 | 0.245 | 861 | 43 | 0.05
7/19/2025 | 23 | 89879 | 14443 | -12978 | 22910 | 6182 | -5554 | 0.258 | 749 | 25 | 0.033
7/19/2025 | 24 | 83728 | 14648 | -12778 | 22258 | 6270 | -5469 | 0.269 | 636 | 76 | 0.119
7/20/2025 | 1 | 78943 | 14467 | -12596 | 22467 | 6192 | -5391 | 0.288 | 912 | 186 | 0.204
7/20/2025 | 2 | 75039 | 14251 | -12224 | 21748 | 6100 | -5232 | 0.293 | 871 | 160 | 0.184
7/20/2025 | 3 | 71898 | 14009 | -12049 | 20903 | 5996 | -5157 | 0.294 | 1002 | 197 | 0.197
7/20/2025 | 4 | 70004 | 13962 | -12165 | 20573 | 5976 | -5206 | 0.297 | 979 | 163 | 0.166
7/20/2025 | 5 | 68728 | 13903 | -12112 | 20383 | 5950 | -5184 | 0.3 | 937 | 154 | 0.164
7/20/2025 | 6 | 68541 | 13694 | -11995 | 20703 | 5861 | -5134 | 0.305 | 1032 | 175 | 0.17
7/20/2025 | 7 | 68455 | 14100 | -12414 | 19652 | 6034 | -5313 | 0.29 | 1228 | 291 | 0.237
7/20/2025 | 8 | 71216 | 12182 | -11105 | 16813 | 5214 | -4753 | 0.239 | 116 | 8 | 0.069
7/20/2025 | 9 | 74323 | 12173 | -11189 | 16149 | 5210 | -4789 | 0.22 | 0 | 0 | 0
7/20/2025 | 10 | 76239 | 11958 | -11254 | 16284 | 5118 | -4817 | 0.216 | 0 | 0 | 0
7/20/2025 | 11 | 78137 | 12059 | -11510 | 16343 | 5161 | -4926 | 0.211 | 0 | 0 | 0
7/20/2025 | 12 | 81289 | 12000 | -11568 | 16517 | 5136 | -4951 | 0.204 | 0 | 0 | 0
7/20/2025 | 13 | 83003 | 13156 | -12781 | 16323 | 5631 | -5470 | 0.198 | 0 | 0 | 0
7/20/2025 | 14 | 85681 | 13724 | -13382 | 16509 | 5874 | -5728 | 0.194 | 0 | 0 | 0
7/20/2025 | 15 | 89913 | 14161 | -14071 | 17371 | 6061 | -6022 | 0.193 | 0 | 0 | 0
7/20/2025 | 16 | 93486 | 14443 | -14796 | 18549 | 6181 | -6333 | 0.198 | 0 | 0 | 0
7/20/2025 | 17 | 96552 | 14475 | -15031 | 19267 | 6195 | -6433 | 0.198 | 0 | 0 | 0
7/20/2025 | 18 | 100055 | 15928 | -16044 | 21586 | 6817 | -6867 | 0.215 | 122 | 0 | 0
7/20/2025 | 19 | 100004 | 17370 | -17076 | 23276 | 7434 | -7309 | 0.233 | 811 | 1 | 0.001
7/20/2025 | 20 | 98224 | 18097 | -17581 | 23976 | 7745 | -7524 | 0.245 | 1274 | 224 | 0.176
7/20/2025 | 21 | 95528 | 17372 | -16238 | 23974 | 7435 | -6950 | 0.253 | 1042 | 155 | 0.149
7/20/2025 | 22 | 91684 | 16054 | -14522 | 23987 | 6871 | -6215 | 0.264 | 1088 | 125 | 0.115
7/20/2025 | 23 | 85640 | 13687 | -12093 | 23653 | 5858 | -5176 | 0.279 | 1047 | 183 | 0.175
7/20/2025 | 24 | 79740 | 13467 | -11622 | 23426 | 5764 | -4974 | 0.297 | 832 | 122 | 0.147
7/21/2025 | 1 | 75801 | 13314 | -11196 | 23225 | 5698 | -4792 | 0.31 | 722 | 128 | 0.177
7/21/2025 | 2 | 72251 | 13381 | -11246 | 22959 | 5727 | -4813 | 0.321 | 845 | 203 | 0.24
7/21/2025 | 3 | 69839 | 13160 | -11143 | 22990 | 5632 | -4769 | 0.332 | 812 | 196 | 0.241
7/21/2025 | 4 | 69149 | 13068 | -11188 | 22556 | 5593 | -4788 | 0.329 | 584 | 82 | 0.14
7/21/2025 | 5 | 70141 | 13017 | -11262 | 22485 | 5571 | -4820 | 0.323 | 445 | 28 | 0.063
7/21/2025 | 6 | 73423 | 13129 | -11598 | 22908 | 5619 | -4964 | 0.314 | 556 | 78 | 0.14
7/21/2025 | 7 | 77288 | 14802 | -13485 | 22573 | 6335 | -5772 | 0.294 | 855 | 171 | 0.2
7/21/2025 | 8 | 80877 | 13035 | -12152 | 20551 | 5579 | -5202 | 0.256 | 91 | 0 | 0
7/21/2025 | 9 | 84350 | 13729 | -13131 | 19893 | 5876 | -5620 | 0.237 | 0 | 0 | 0
7/21/2025 | 10 | 86305 | 13829 | -13302 | 19654 | 5919 | -5693 | 0.229 | 0 | 0 | 0
7/21/2025 | 11 | 87922 | 13701 | -13544 | 19481 | 5864 | -5797 | 0.222 | 0 | 0 | 0
7/21/2025 | 12 | 89824 | 13843 | -13689 | 19615 | 5925 | -5859 | 0.219 | 0 | 0 | 0
7/21/2025 | 13 | 91516 | 14479 | -14395 | 19739 | 6197 | -6161 | 0.216 | 0 | 0 | 0
7/21/2025 | 14 | 93880 | 14591 | -14800 | 19806 | 6245 | -6334 | 0.21 | 0 | 0 | 0
7/21/2025 | 15 | 95915 | 15372 | -15965 | 19301 | 6579 | -6833 | 0.2 | 0 | 0 | 0
7/21/2025 | 16 | 99460 | 16037 | -17089 | 19722 | 6864 | -7314 | 0.196 | 0 | 0 | 0
7/21/2025 | 17 | 102298 | 17970 | -18901 | 19812 | 7691 | -8090 | 0.192 | 0 | 0 | 0
7/21/2025 | 18 | 104534 | 18489 | -19306 | 20808 | 7913 | -8263 | 0.197 | 0 | 0 | 0
7/21/2025 | 19 | 104318 | 18982 | -19289 | 23394 | 8124 | -8256 | 0.224 | 130 | 0 | 0
7/21/2025 | 20 | 101897 | 18917 | -18915 | 24872 | 8096 | -8096 | 0.244 | 586 | 17 | 0.029
7/21/2025 | 21 | 98924 | 19057 | -18468 | 24945 | 8156 | -7904 | 0.253 | 731 | 0 | 0
7/21/2025 | 22 | 95440 | 18505 | -17651 | 24424 | 7920 | -7555 | 0.257 | 544 | 0 | 0
7/21/2025 | 23 | 89239 | 13797 | -12511 | 24080 | 5905 | -5355 | 0.272 | 500 | 5 | 0.01
7/21/2025 | 24 | 83330 | 13305 | -11907 | 23533 | 5694 | -5096 | 0.285 | 714 | 0 | 0
7/22/2025 | 1 | 78359 | 13000 | -11396 | 22982 | 5564 | -4877 | 0.296 | 552 | 7 | 0.013
7/22/2025 | 2 | 74673 | 12852 | -11333 | 22470 | 5501 | -4850 | 0.303 | 598 | 0 | 0
7/22/2025 | 3 | 71628 | 12960 | -11211 | 21930 | 5547 | -4798 | 0.309 | 696 | 7 | 0.01
7/22/2025 | 4 | 70328 | 13044 | -11239 | 22102 | 5583 | -4811 | 0.317 | 595 | 0 | 0
7/22/2025 | 5 | 71135 | 12940 | -11221 | 22352 | 5538 | -4802 | 0.317 | 493 | 0 | 0
7/22/2025 | 6 | 73925 | 12916 | -11455 | 22690 | 5528 | -4903 | 0.309 | 505 | 1 | 0.002
7/22/2025 | 7 | 76777 | 14688 | -13301 | 21528 | 6287 | -5693 | 0.283 | 720 | 142 | 0.197
7/22/2025 | 8 | 80089 | 13883 | -12776 | 18707 | 5942 | -5468 | 0.236 | 50 | 0 | 0
7/22/2025 | 9 | 84116 | 13974 | -13145 | 19166 | 5981 | -5626 | 0.23 | 0 | 0 | 0
7/22/2025 | 10 | 86050 | 13771 | -13170 | 19617 | 5894 | -5637 | 0.229 | 0 | 0 | 0
7/22/2025 | 11 | 87554 | 13876 | -13443 | 18522 | 5939 | -5754 | 0.213 | 0 | 0 | 0
7/22/2025 | 12 | 88874 | 14844 | -14528 | 19331 | 6353 | -6218 | 0.218 | 0 | 0 | 0
7/22/2025 | 13 | 90869 | 15540 | -15226 | 21464 | 6651 | -6516 | 0.237 | 0 | 0 | 0
7/22/2025 | 14 | 92932 | 15600 | -15268 | 21188 | 6677 | -6535 | 0.229 | 0 | 0 | 0
7/22/2025 | 15 | 95718 | 16416 | -16311 | 19978 | 7026 | -6981 | 0.209 | 0 | 0 | 0
7/22/2025 | 16 | 100152 | 16201 | -16744 | 20667 | 6934 | -7167 | 0.205 | 0 | 0 | 0
7/22/2025 | 17 | 101783 | 17718 | -17840 | 20406 | 7583 | -7635 | 0.2 | 0 | 0 | 0
7/22/2025 | 18 | 103890 | 18606 | -18839 | 20749 | 7963 | -8063 | 0.199 | 0 | 0 | 0
7/22/2025 | 19 | 103814 | 18373 | -18410 | 22928 | 7864 | -7879 | 0.221 | 161 | 0 | 0
7/22/2025 | 20 | 102096 | 17843 | -17273 | 24623 | 7637 | -7393 | 0.242 | 637 | 24 | 0.038
7/22/2025 | 21 | 99070 | 17595 | -16845 | 24366 | 7531 | -7209 | 0.247 | 762 | 54 | 0.071
7/22/2025 | 22 | 95741 | 16539 | -15916 | 24099 | 7079 | -6812 | 0.253 | 818 | 44 | 0.054
7/22/2025 | 23 | 89569 | 13550 | -12416 | 23879 | 5799 | -5314 | 0.269 | 730 | 21 | 0.029
7/22/2025 | 24 | 83049 | 13186 | -11733 | 23535 | 5644 | -5022 | 0.286 | 695 | 0 | 0
7/23/2025 | 1 | 78107 | 12941 | -11229 | 22730 | 5539 | -4806 | 0.294 | 461 | 10 | 0.022
7/23/2025 | 2 | 73583 | 12843 | -11022 | 22237 | 5497 | -4718 | 0.305 | 748 | 100 | 0.134
7/23/2025 | 3 | 70987 | 12500 | -10511 | 21946 | 5350 | -4498 | 0.312 | 1078 | 234 | 0.217
7/23/2025 | 4 | 69248 | 12594 | -10534 | 21566 | 5390 | -4509 | 0.315 | 772 | 110 | 0.142
7/23/2025 | 5 | 69513 | 12704 | -10606 | 21804 | 5438 | -4540 | 0.317 | 865 | 117 | 0.135
7/23/2025 | 6 | 72324 | 12699 | -10942 | 22129 | 5435 | -4684 | 0.309 | 646 | 4 | 0.006
7/23/2025 | 7 | 75628 | 14414 | -12932 | 21071 | 6170 | -5535 | 0.281 | 994 | 95 | 0.096
7/23/2025 | 8 | 79699 | 13369 | -12484 | 18628 | 5722 | -5343 | 0.236 | 202 | 0 | 0
7/23/2025 | 9 | 83548 | 13179 | -12804 | 18084 | 5641 | -5480 | 0.217 | 0 | 0 | 0
7/23/2025 | 10 | 85510 | 13350 | -13326 | 17923 | 5714 | -5704 | 0.21 | 0 | 0 | 0
7/23/2025 | 11 | 86767 | 13557 | -13557 | 17912 | 5802 | -5802 | 0.206 | 0 | 0 | 0
7/23/2025 | 12 | 88127 | 13646 | -13568 | 17974 | 5840 | -5807 | 0.204 | 0 | 0 | 0
7/23/2025 | 13 | 91028 | 14549 | -14744 | 18302 | 6227 | -6311 | 0.201 | 0 | 0 | 0
7/23/2025 | 14 | 94777 | 14860 | -15213 | 19114 | 6360 | -6511 | 0.201 | 0 | 0 | 0
7/23/2025 | 15 | 98064 | 15698 | -16096 | 19324 | 6719 | -6889 | 0.196 | 0 | 0 | 0
7/23/2025 | 16 | 102810 | 16555 | -16948 | 20109 | 7086 | -7254 | 0.195 | 0 | 0 | 0
7/23/2025 | 17 | 105414 | 18147 | -18193 | 19808 | 7767 | -7787 | 0.188 | 0 | 0 | 0
7/23/2025 | 18 | 107990 | 18237 | -17868 | 21081 | 7805 | -7648 | 0.196 | 0 | 0 | 0
7/23/2025 | 19 | 108713 | 18735 | -18177 | 23376 | 8019 | -7780 | 0.216 | 0 | 0 | 0
7/23/2025 | 20 | 106520 | 18716 | -17959 | 24550 | 8011 | -7686 | 0.232 | 566 | 30 | 0.053
7/23/2025 | 21 | 102224 | 18681 | -17678 | 24483 | 7995 | -7566 | 0.241 | 1140 | 185 | 0.162
7/23/2025 | 22 | 96996 | 17533 | -15777 | 24185 | 7504 | -6753 | 0.253 | 1423 | 289 | 0.203
7/23/2025 | 23 | 89450 | 14578 | -12425 | 24011 | 6239 | -5318 | 0.272 | 1765 | 404 | 0.229
7/23/2025 | 24 | 82559 | 14333 | -12078 | 23776 | 6135 | -5170 | 0.292 | 1982 | 507 | 0.256
7/24/2025 | 1 | 77447 | 13424 | -11099 | 24839 | 5745 | -4750 | 0.324 | 1680 | 392 | 0.233
7/24/2025 | 2 | 73183 | 13090 | -10862 | 22589 | 5603 | -4649 | 0.312 | 1697 | 436 | 0.257
7/24/2025 | 3 | 70204 | 13124 | -10900 | 22191 | 5617 | -4666 | 0.32 | 2014 | 524 | 0.26
7/24/2025 | 4 | 68327 | 13320 | -10994 | 22060 | 5701 | -4706 | 0.326 | 1718 | 450 | 0.262
7/24/2025 | 5 | 68408 | 13269 | -10852 | 21804 | 5679 | -4645 | 0.322 | 1189 | 267 | 0.225
7/24/2025 | 6 | 70744 | 13233 | -10980 | 22206 | 5664 | -4699 | 0.317 | 1364 | 330 | 0.242
7/24/2025 | 7 | 73584 | 14469 | -12418 | 21344 | 6193 | -5315 | 0.294 | 2042 | 563 | 0.276
7/24/2025 | 8 | 77608 | 13439 | -11663 | 18243 | 5752 | -4992 | 0.239 | 209 | 30 | 0.144
7/24/2025 | 9 | 81255 | 13111 | -11798 | 17438 | 5612 | -5049 | 0.218 | 0 | 0 | 0
7/24/2025 | 10 | 83704 | 13543 | -12439 | 17460 | 5796 | -5324 | 0.211 | 0 | 0 | 0
7/24/2025 | 11 | 86458 | 14067 | -13431 | 17543 | 6021 | -5748 | 0.205 | 0 | 0 | 0
7/24/2025 | 12 | 88401 | 13808 | -13240 | 17671 | 5910 | -5667 | 0.201 | 0 | 0 | 0
7/24/2025 | 13 | 91679 | 13885 | -13530 | 18157 | 5942 | -5791 | 0.199 | 0 | 0 | 0
7/24/2025 | 14 | 95234 | 14203 | -14081 | 17882 | 6079 | -6027 | 0.188 | 0 | 0 | 0
7/24/2025 | 15 | 99437 | 14708 | -14831 | 18031 | 6295 | -6348 | 0.181 | 0 | 0 | 0
7/24/2025 | 16 | 102817 | 15079 | -15355 | 18616 | 6454 | -6572 | 0.18 | 0 | 0 | 0
7/24/2025 | 17 | 107150 | 17598 | -17639 | 19733 | 7532 | -7550 | 0.184 | 0 | 0 | 0
7/24/2025 | 18 | 109760 | 17466 | -17431 | 21836 | 7475 | -7460 | 0.199 | 230 | 0 | 0
7/24/2025 | 19 | 109375 | 18183 | -17730 | 24018 | 7782 | -7588 | 0.22 | 260 | 0 | 0
7/24/2025 | 20 | 105680 | 18312 | -17460 | 25033 | 7838 | -7473 | 0.238 | 738 | 33 | 0.045
7/24/2025 | 21 | 100724 | 18451 | -16780 | 24626 | 7897 | -7182 | 0.247 | 837 | 87 | 0.104
7/24/2025 | 22 | 96131 | 17405 | -15789 | 23902 | 7449 | -6758 | 0.252 | 1409 | 189 | 0.134
7/24/2025 | 23 | 88773 | 14562 | -12684 | 23432 | 6232 | -5429 | 0.267 | 1263 | 150 | 0.119
7/24/2025 | 24 | 82188 | 14009 | -12192 | 22556 | 5996 | -5218 | 0.278 | 1328 | 201 | 0.151
7/25/2025 | 1 | 77593 | 13839 | -12287 | 21560 | 5923 | -5259 | 0.281 | 1139 | 246 | 0.216
7/25/2025 | 2 | 73149 | 13918 | -12192 | 21107 | 5957 | -5218 | 0.292 | 1080 | 225 | 0.208
7/25/2025 | 3 | 69967 | 13921 | -12285 | 20559 | 5958 | -5258 | 0.297 | 1101 | 234 | 0.213
7/25/2025 | 4 | 68396 | 13516 | -11975 | 20172 | 5785 | -5126 | 0.298 | 1040 | 214 | 0.206
7/25/2025 | 5 | 68668 | 13465 | -11817 | 20000 | 5763 | -5058 | 0.294 | 1150 | 254 | 0.221
7/25/2025 | 6 | 70444 | 13623 | -11957 | 20446 | 5831 | -5118 | 0.293 | 1014 | 213 | 0.21
7/25/2025 | 7 | 73303 | 14485 | -12958 | 19227 | 6200 | -5546 | 0.266 | 2363 | 702 | 0.297
7/25/2025 | 8 | 77377 | 13645 | -12811 | 16369 | 5840 | -5483 | 0.214 | 584 | 131 | 0.224
7/25/2025 | 9 | 81080 | 13339 | -12861 | 15652 | 5709 | -5504 | 0.194 | 0 | 0 | 0
7/25/2025 | 10 | 82796 | 13320 | -13064 | 15985 | 5701 | -5592 | 0.194 | 0 | 0 | 0
7/25/2025 | 11 | 85334 | 13268 | -13131 | 16560 | 5679 | -5620 | 0.194 | 0 | 0 | 0
7/25/2025 | 12 | 87425 | 13415 | -13598 | 16639 | 5741 | -5820 | 0.19 | 0 | 0 | 0
7/25/2025 | 13 | 90766 | 13882 | -14560 | 16739 | 5941 | -6232 | 0.183 | 0 | 0 | 0
7/25/2025 | 14 | 94094 | 13904 | -14718 | 16947 | 5951 | -6299 | 0.178 | 0 | 0 | 0
7/25/2025 | 15 | 98548 | 14518 | -15549 | 17993 | 6214 | -6655 | 0.18 | 0 | 0 | 0
7/25/2025 | 16 | 101711 | 14765 | -15970 | 18583 | 6320 | -6835 | 0.18 | 0 | 0 | 0
7/25/2025 | 17 | 103851 | 16208 | -16816 | 19130 | 6937 | -7197 | 0.183 | 0 | 0 | 0
7/25/2025 | 18 | 105222 | 17280 | -17449 | 20034 | 7396 | -7469 | 0.19 | 0 | 0 | 0
7/25/2025 | 19 | 104384 | 18333 | -17795 | 21881 | 7847 | -7616 | 0.211 | 37 | 0 | 0
7/25/2025 | 20 | 101754 | 18496 | -17776 | 23369 | 7916 | -7608 | 0.231 | 282 | 0 | 0
7/25/2025 | 21 | 97273 | 17763 | -16701 | 22927 | 7602 | -7148 | 0.238 | 692 | 6 | 0.009
7/25/2025 | 22 | 93120 | 17472 | -16301 | 22272 | 7478 | -6977 | 0.242 | 727 | 19 | 0.026
7/25/2025 | 23 | 86978 | 13185 | -11843 | 22159 | 5643 | -5068 | 0.257 | 717 | 46 | 0.064
7/25/2025 | 24 | 80928 | 12766 | -11349 | 21559 | 5464 | -4857 | 0.269 | 667 | 72 | 0.108
7/26/2025 | 1 | 76554 | 12333 | -10985 | 21034 | 5278 | -4702 | 0.277 | 1360 | 355 | 0.261
7/26/2025 | 2 | 72313 | 13351 | -11775 | 20161 | 5714 | -5040 | 0.282 | 1369 | 329 | 0.24
7/26/2025 | 3 | 68986 | 13416 | -11780 | 19714 | 5742 | -5041 | 0.289 | 1330 | 327 | 0.246
7/26/2025 | 4 | 67334 | 13462 | -12053 | 19569 | 5762 | -5158 | 0.293 | 847 | 164 | 0.194
7/26/2025 | 5 | 66635 | 13503 | -12051 | 19402 | 5780 | -5158 | 0.294 | 447 | 17 | 0.038
7/26/2025 | 6 | 66724 | 13650 | -12096 | 19216 | 5842 | -5177 | 0.291 | 410 | 9 | 0.022
7/26/2025 | 7 | 67536 | 14106 | -12857 | 18249 | 6037 | -5503 | 0.273 | 508 | 74 | 0.146
7/26/2025 | 8 | 70793 | 13070 | -12418 | 15399 | 5594 | -5315 | 0.219 | 98 | 0 | 0
7/26/2025 | 9 | 74357 | 12787 | -12578 | 13818 | 5473 | -5383 | 0.187 | 0 | 0 | 0
7/26/2025 | 10 | 76248 | 12691 | -12751 | 13846 | 5432 | -5457 | 0.181 | 0 | 0 | 0
7/26/2025 | 11 | 78150 | 12803 | -13202 | 13965 | 5480 | -5650 | 0.177 | 0 | 0 | 0
7/26/2025 | 12 | 79384 | 13188 | -13500 | 14079 | 5644 | -5778 | 0.176 | 0 | 0 | 0
7/26/2025 | 13 | 81924 | 13721 | -14188 | 14815 | 5872 | -6072 | 0.179 | 0 | 0 | 0
7/26/2025 | 14 | 85416 | 14749 | -15784 | 15604 | 6312 | -6755 | 0.18 | 0 | 0 | 0
7/26/2025 | 15 | 88860 | 15063 | -16118 | 15921 | 6447 | -6899 | 0.176 | 0 | 0 | 0
7/26/2025 | 16 | 93011 | 14893 | -15924 | 16398 | 6374 | -6815 | 0.173 | 0 | 0 | 0
7/26/2025 | 17 | 96510 | 16258 | -17158 | 16810 | 6958 | -7344 | 0.172 | 0 | 0 | 0
7/26/2025 | 18 | 99362 | 16884 | -17207 | 18045 | 7226 | -7365 | 0.181 | 0 | 0 | 0
7/26/2025 | 19 | 99686 | 17767 | -17581 | 21031 | 7604 | -7525 | 0.211 | 0 | 0 | 0
7/26/2025 | 20 | 96385 | 17923 | -17358 | 22686 | 7671 | -7429 | 0.236 | 209 | 0 | 0
7/26/2025 | 21 | 92987 | 17868 | -17193 | 22197 | 7647 | -7359 | 0.24 | 0 | 0 | 0
7/26/2025 | 22 | 89341 | 16811 | -15837 | 21613 | 7195 | -6778 | 0.244 | 170 | 0 | 0
7/26/2025 | 23 | 83634 | 14613 | -13168 | 21502 | 6254 | -5636 | 0.26 | 176 | 0 | 0
7/26/2025 | 24 | 78470 | 13901 | -12711 | 20898 | 5950 | -5440 | 0.269 | 327 | 3 | 0.009
7/27/2025 | 1 | 74669 | 13655 | -12590 | 20272 | 5844 | -5389 | 0.274 | 543 | 18 | 0.033
7/27/2025 | 2 | 70698 | 13654 | -12532 | 19418 | 5844 | -5363 | 0.277 | 445 | 2 | 0.004
7/27/2025 | 3 | 67692 | 14038 | -12650 | 18695 | 6009 | -5414 | 0.279 | 472 | 0 | 0
7/27/2025 | 4 | 65872 | 14304 | -12859 | 18104 | 6122 | -5504 | 0.278 | 494 | 2 | 0.004
7/27/2025 | 5 | 65231 | 13885 | -12626 | 17820 | 5943 | -5404 | 0.276 | 553 | 0 | 0
7/27/2025 | 6 | 64960 | 13764 | -12493 | 17862 | 5891 | -5347 | 0.278 | 482 | 0 | 0
7/27/2025 | 7 | 65564 | 14481 | -13615 | 16924 | 6198 | -5828 | 0.26 | 478 | 72 | 0.151
7/27/2025 | 8 | 68582 | 12969 | -12584 | 13858 | 5551 | -5386 | 0.203 | 0 | 0 | 0
7/27/2025 | 9 | 71787 | 12198 | -12115 | 13217 | 5221 | -5185 | 0.184 | 0 | 0 | 0
7/27/2025 | 10 | 73914 | 11506 | -11582 | 13280 | 4925 | -4957 | 0.179 | 0 | 0 | 0
7/27/2025 | 11 | 76058 | 11398 | -11584 | 13984 | 4878 | -4958 | 0.183 | 0 | 0 | 0
7/27/2025 | 12 | 78875 | 11362 | -11785 | 15090 | 4863 | -5044 | 0.19 | 0 | 0 | 0
7/27/2025 | 13 | 82240 | 11696 | -12200 | 15832 | 5006 | -5221 | 0.191 | 0 | 0 | 0
7/27/2025 | 14 | 86850 | 11969 | -13164 | 16611 | 5123 | -5634 | 0.188 | 0 | 0 | 0
7/27/2025 | 15 | 92001 | 12771 | -14475 | 17346 | 5466 | -6195 | 0.184 | 0 | 0 | 0
7/27/2025 | 16 | 96883 | 12945 | -14756 | 18468 | 5540 | -6315 | 0.186 | 0 | 0 | 0
7/27/2025 | 17 | 100968 | 13850 | -15649 | 19200 | 5928 | -6698 | 0.186 | 0 | 0 | 0
7/27/2025 | 18 | 104591 | 14919 | -16466 | 21176 | 6385 | -7048 | 0.199 | 17 | 0 | 0
7/27/2025 | 19 | 105137 | 16470 | -17142 | 23248 | 7049 | -7337 | 0.22 | 103 | 0 | 0
7/27/2025 | 20 | 102916 | 16594 | -16815 | 24791 | 7102 | -7197 | 0.24 | 166 | 0 | 0
7/27/2025 | 21 | 98897 | 16051 | -16242 | 24779 | 6870 | -6952 | 0.25 | 243 | 0 | 0
7/27/2025 | 22 | 94016 | 15463 | -15212 | 24350 | 6618 | -6511 | 0.259 | 397 | 15 | 0.038
7/27/2025 | 23 | 86541 | 13946 | -12900 | 23654 | 5969 | -5521 | 0.275 | 443 | 32 | 0.072
7/27/2025 | 24 | 80207 | 13766 | -12551 | 22649 | 5892 | -5372 | 0.285 | 610 | 59 | 0.097
7/28/2025 | 1 | 75955 | 13814 | -12686 | 21642 | 5912 | -5429 | 0.287 | 900 | 170 | 0.189
7/28/2025 | 2 | 71993 | 13503 | -12379 | 21394 | 5779 | -5298 | 0.299 | 573 | 54 | 0.094
7/28/2025 | 3 | 68960 | 13175 | -11712 | 21021 | 5639 | -5013 | 0.307 | 758 | 106 | 0.14
7/28/2025 | 4 | 67572 | 13022 | -11515 | 20773 | 5574 | -4928 | 0.31 | 587 | 60 | 0.102
7/28/2025 | 5 | 68298 | 12834 | -11366 | 21060 | 5493 | -4865 | 0.311 | 366 | 0 | 0
7/28/2025 | 6 | 70758 | 12959 | -11581 | 21802 | 5547 | -4957 | 0.31 | 376 | 10 | 0.027
7/28/2025 | 7 | 74399 | 15809 | -14746 | 20268 | 6766 | -6312 | 0.275 | 990 | 189 | 0.191
7/28/2025 | 8 | 78637 | 14806 | -13910 | 17726 | 6337 | -5954 | 0.228 | 718 | 181 | 0.252
7/28/2025 | 9 | 81811 | 14844 | -14528 | 17911 | 6353 | -6218 | 0.22 | 0 | 0 | 0
7/28/2025 | 10 | 83964 | 14847 | -14588 | 19647 | 6355 | -6244 | 0.235 | 0 | 0 | 0
7/28/2025 | 11 | 87536 | 14933 | -14952 | 19312 | 6391 | -6400 | 0.221 | 0 | 0 | 0
7/28/2025 | 12 | 90934 | 15515 | -15378 | 20141 | 6641 | -6582 | 0.222 | 0 | 0 | 0
7/28/2025 | 13 | 95071 | 16414 | -16429 | 20732 | 7025 | -7031 | 0.218 | 0 | 0 | 0
7/28/2025 | 14 | 100293 | 16850 | -17201 | 21263 | 7212 | -7362 | 0.211 | 0 | 0 | 0
7/28/2025 | 15 | 105414 | 17834 | -18774 | 21981 | 7633 | -8035 | 0.207 | 0 | 0 | 0
7/28/2025 | 16 | 109856 | 18228 | -19374 | 22861 | 7802 | -8292 | 0.206 | 0 | 0 | 0
7/28/2025 | 17 | 112679 | 19493 | -20292 | 23501 | 8343 | -8685 | 0.207 | 0 | 0 | 0
7/28/2025 | 18 | 115405 | 20268 | -20928 | 24551 | 8675 | -8957 | 0.212 | 197 | 1 | 0.005
7/28/2025 | 19 | 115310 | 20830 | -21078 | 25755 | 8915 | -9022 | 0.223 | 491 | 0 | 0
7/28/2025 | 20 | 112456 | 21197 | -21239 | 26749 | 9072 | -9090 | 0.238 | 448 | 12 | 0.027
7/28/2025 | 21 | 107027 | 20713 | -20398 | 26622 | 8865 | -8731 | 0.249 | 407 | 0 | 0
7/28/2025 | 22 | 101383 | 19088 | -18456 | 26083 | 8169 | -7899 | 0.258 | 499 | 0 | 0
7/28/2025 | 23 | 93368 | 13180 | -12132 | 25488 | 5641 | -5193 | 0.275 | 377 | 0 | 0
7/28/2025 | 24 | 85874 | 12913 | -11722 | 24559 | 5526 | -5017 | 0.288 | 538 | 38 | 0.071
7/29/2025 | 1 | 80849 | 12028 | -10860 | 23266 | 5148 | -4648 | 0.29 | 695 | 70 | 0.101
7/29/2025 | 2 | 76035 | 11820 | -10507 | 22694 | 5059 | -4497 | 0.301 | 562 | 23 | 0.041
7/29/2025 | 3 | 72697 | 11697 | -10126 | 22477 | 5006 | -4334 | 0.312 | 528 | 14 | 0.027
7/29/2025 | 4 | 70908 | 11604 | -10062 | 22435 | 4966 | -4307 | 0.319 | 418 | 2 | 0.005
7/29/2025 | 5 | 71149 | 11472 | -9974 | 22451 | 4910 | -4269 | 0.318 | 410 | 1 | 0.002
7/29/2025 | 6 | 73460 | 11508 | -9881 | 22670 | 4926 | -4229 | 0.311 | 401 | 0 | 0
7/29/2025 | 7 | 76707 | 15945 | -14741 | 22214 | 6824 | -6309 | 0.292 | 839 | 33 | 0.039
7/29/2025 | 8 | 80913 | 15385 | -14521 | 20209 | 6585 | -6215 | 0.252 | 218 | 2 | 0.009
7/29/2025 | 9 | 84131 | 16120 | -15350 | 19864 | 6899 | -6570 | 0.238 | 0 | 0 | 0
7/29/2025 | 10 | 86705 | 15977 | -15385 | 19772 | 6838 | -6585 | 0.229 | 0 | 0 | 0
7/29/2025 | 11 | 89543 | 16752 | -16783 | 20175 | 7170 | -7183 | 0.225 | 0 | 0 | 0
7/29/2025 | 12 | 92724 | 16839 | -16786 | 20797 | 7207 | -7184 | 0.224 | 0 | 0 | 0
7/29/2025 | 13 | 97004 | 17135 | -17098 | 21560 | 7334 | -7318 | 0.222 | 0 | 0 | 0
7/29/2025 | 14 | 102647 | 17877 | -18193 | 22466 | 7651 | -7786 | 0.218 | 0 | 0 | 0
7/29/2025 | 15 | 107920 | 18942 | -19237 | 23122 | 8108 | -8234 | 0.214 | 0 | 0 | 0
7/29/2025 | 16 | 112586 | 18726 | -19425 | 23757 | 8015 | -8314 | 0.21 | 0 | 0 | 0
7/29/2025 | 17 | 115730 | 20353 | -21075 | 23769 | 8711 | -9020 | 0.204 | 0 | 0 | 0
7/29/2025 | 18 | 118508 | 20621 | -21166 | 25124 | 8826 | -9059 | 0.211 | 7 | 0 | 0
7/29/2025 | 19 | 118139 | 19714 | -19720 | 26642 | 8437 | -8440 | 0.226 | 103 | 0 | 0
7/29/2025 | 20 | 114363 | 19434 | -18904 | 28113 | 8318 | -8091 | 0.247 | 438 | 14 | 0.032
7/29/2025 | 21 | 108440 | 19064 | -17863 | 28010 | 8159 | -7646 | 0.26 | 588 | 1 | 0.002
7/29/2025 | 22 | 103100 | 17332 | -16193 | 27713 | 7418 | -6931 | 0.271 | 718 | 3 | 0.004
7/29/2025 | 23 | 94803 | 12150 | -10805 | 27385 | 5200 | -4624 | 0.291 | 395 | 0 | 0
7/29/2025 | 24 | 86727 | 11888 | -10351 | 26505 | 5088 | -4430 | 0.308 | 579 | 19 | 0.033
7/30/2025 | 1 | 81083 | 11809 | -9780 | 25231 | 5054 | -4186 | 0.314 | 612 | 41 | 0.067
7/30/2025 | 2 | 75946 | 12104 | -9711 | 24461 | 5180 | -4156 | 0.325 | 724 | 117 | 0.162
7/30/2025 | 3 | 72483 | 12512 | -10030 | 24172 | 5355 | -4293 | 0.337 | 485 | 0 | 0
7/30/2025 | 4 | 70076 | 12668 | -10000 | 23580 | 5422 | -4280 | 0.34 | 599 | 7 | 0.012
7/30/2025 | 5 | 70387 | 12410 | -9945 | 23682 | 5311 | -4256 | 0.34 | 689 | 27 | 0.039
7/30/2025 | 6 | 72829 | 12466 | -10063 | 23842 | 5336 | -4307 | 0.331 | 629 | 34 | 0.054
7/30/2025 | 7 | 76121 | 15753 | -13734 | 23197 | 6742 | -5878 | 0.308 | 766 | 96 | 0.125
7/30/2025 | 8 | 80245 | 14052 | -12606 | 20309 | 6014 | -5395 | 0.256 | 50 | 0 | 0
7/30/2025 | 9 | 84235 | 14683 | -13489 | 19115 | 6284 | -5773 | 0.23 | 0 | 0 | 0
7/30/2025 | 10 | 87657 | 14431 | -13888 | 19174 | 6177 | -5944 | 0.22 | 0 | 0 | 0
7/30/2025 | 11 | 90464 | 14828 | -14493 | 19563 | 6346 | -6203 | 0.217 | 0 | 0 | 0
7/30/2025 | 12 | 94121 | 15192 | -15100 | 20313 | 6502 | -6462 | 0.216 | 0 | 0 | 0
7/30/2025 | 13 | 98188 | 15866 | -16003 | 20848 | 6791 | -6849 | 0.212 | 0 | 0 | 0
7/30/2025 | 14 | 102949 | 15997 | -16636 | 21074 | 6847 | -7120 | 0.203 | 0 | 0 | 0
7/30/2025 | 15 | 108589 | 16811 | -17901 | 21940 | 7195 | -7662 | 0.2 | 0 | 0 | 0
7/30/2025 | 16 | 113157 | 17171 | -18195 | 22422 | 7349 | -7787 | 0.196 | 0 | 0 | 0
7/30/2025 | 17 | 116695 | 18190 | -19076 | 23414 | 7785 | -8164 | 0.199 | 0 | 0 | 0
7/30/2025 | 18 | 118667 | 18787 | -19205 | 24389 | 8041 | -8220 | 0.205 | 151 | 0 | 0
7/30/2025 | 19 | 117730 | 18874 | -19226 | 26276 | 8078 | -8229 | 0.223 | 741 | 17 | 0.023
7/30/2025 | 20 | 114043 | 18895 | -18994 | 27452 | 8087 | -8129 | 0.241 | 593 | 0 | 0
7/30/2025 | 21 | 108941 | 19017 | -18698 | 27314 | 8139 | -8003 | 0.251 | 376 | 0 | 0
7/30/2025 | 22 | 103599 | 18163 | -17820 | 26908 | 7774 | -7627 | 0.26 | 664 | 3 | 0.005
7/30/2025 | 23 | 95190 | 13412 | -12089 | 26066 | 5740 | -5174 | 0.276 | 638 | 15 | 0.024
7/30/2025 | 24 | 87661 | 13164 | -11556 | 24992 | 5634 | -4946 | 0.288 | 1036 | 91 | 0.088
7/31/2025 | 1 | 81757 | 13449 | -11142 | 23957 | 5756 | -4769 | 0.297 | 827 | 30 | 0.036
7/31/2025 | 2 | 77269 | 13236 | -11043 | 23170 | 5665 | -4726 | 0.303 | 654 | 1 | 0.002
7/31/2025 | 3 | 73958 | 13438 | -11307 | 22844 | 5752 | -4840 | 0.312 | 680 | 6 | 0.009
7/31/2025 | 4 | 71610 | 13303 | -11022 | 22444 | 5694 | -4717 | 0.317 | 651 | 6 | 0.009
7/31/2025 | 5 | 71342 | 13495 | -10992 | 22440 | 5776 | -4705 | 0.318 | 646 | 0 | 0
7/31/2025 | 6 | 73277 | 13629 | -11262 | 22645 | 5833 | -4820 | 0.313 | 498 | 18 | 0.036
7/31/2025 | 7 | 76487 | 15157 | -12917 | 23356 | 6487 | -5528 | 0.309 | 958 | 222 | 0.232
7/31/2025 | 8 | 80445 | 13329 | -11780 | 20223 | 5705 | -5042 | 0.255 | 87 | 0 | 0
7/31/2025 | 9 | 84608 | 13918 | -12848 | 19216 | 5957 | -5499 | 0.23 | 0 | 0 | 0
7/31/2025 | 10 | 86836 | 13738 | -12772 | 19179 | 5880 | -5467 | 0.223 | 0 | 0 | 0
7/31/2025 | 11 | 89911 | 14095 | -13385 | 19526 | 6033 | -5728 | 0.219 | 0 | 0 | 0
7/31/2025 | 12 | 93118 | 14226 | -13323 | 20050 | 6089 | -5702 | 0.217 | 0 | 0 | 0
7/31/2025 | 13 | 97714 | 14279 | -13462 | 20872 | 6112 | -5762 | 0.215 | 0 | 0 | 0
7/31/2025 | 14 | 102573 | 14983 | -14386 | 21871 | 6413 | -6157 | 0.214 | 0 | 0 | 0
7/31/2025 | 15 | 107806 | 15573 | -15227 | 22515 | 6665 | -6517 | 0.21 | 0 | 0 | 0
7/31/2025 | 16 | 112780 | 15676 | -15504 | 23032 | 6710 | -6635 | 0.205 | 0 | 0 | 0
7/31/2025 | 17 | 116410 | 17323 | -17477 | 23282 | 7414 | -7480 | 0.2 | 0 | 0 | 0
7/31/2025 | 18 | 117811 | 18164 | -18023 | 24602 | 7774 | -7714 | 0.209 | 5 | 0 | 0
7/31/2025 | 19 | 117190 | 18760 | -18588 | 27108 | 8029 | -7956 | 0.232 | 314 | 0 | 0
7/31/2025 | 20 | 113925 | 18899 | -18490 | 28212 | 8089 | -7914 | 0.248 | 625 | 56 | 0.09
7/31/2025 | 21 | 109123 | 18550 | -17548 | 28219 | 7940 | -7511 | 0.26 | 777 | 0 | 0
7/31/2025 | 22 | 103743 | 18003 | -16378 | 27777 | 7706 | -7010 | 0.27 | 792 | 32 | 0.04
7/31/2025 | 23 | 94575 | 15539 | -12984 | 27325 | 6651 | -5557 | 0.293 | 972 | 108 | 0.111
7/31/2025 | 24 | 87019 | 15523 | -12852 | 26358 | 6644 | -5500 | 0.307 | 1742 | 358 | 0.206