## KEY
Average Emissions Rate Calculation
Background:
The CAISO is publishing this metric of an average emissions rate (AER) based on the discussion in the GHG working groups. CAISO discussed the metric at the November 27, 2023 GHG Coordination Working Group. A brief explanation of the methodology is included below:
Methodology:
1) Which resources are reflected in this example AER metric (all schedules are from the 5-minute market)
- All supply resources are included
- All demand response resources are excluded
- All energy storage resources are included (emissions rate used is 0 MTCO2e/MWh)
- Resources that were attributed to serve California are included
2) The AER measures all schedules ie. The total dispatach of the resources and not relative to WEIM base schedule
3) Bilateral transactions are included (emissions rate used is 0.428 MTCO2e/MWh) unless they are resource specific.
4) CAISO filled in missing heat rate and emissions rate data by using wtd averages from existing data
Key
TRADE_DT | Trade date of the reported data in MM/DD/YYYY format
TRADE_HR | Trade hour of the reported data. Data is reported as the "hour-ending", e.g. TRADE_HR = 2 is for the hour-ending 1:59:59AM Pacific time
GEN_MWH | MWh of electricity generation in the WEIM area* (including CAISO)
IMP_MWH | MWh of electricity imports into the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
EXP_MWH | MWh of electricity exports from the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
GEN_GHG | Greenhouse gas emissions in MTCO2e of electricity generation in the WEIM area
IMP_GHG | Greenhouse gas emissions in MTCO2e of electricity imports into the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
EXP_GHG | Greenhouse gas emissions in MTCO2e of electricity exports from the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
AVG_EM_RATE | Average emissions rate calculated as columns G through I divided by columns C through E
ATTR_MWH | MWh of WEIM transfers into California which, by definition, is equal to the sum of the GHG attributions
ATTR_GHG | Greenhouse gas emissions in MTCO2e of WEIM transfers into California (resource-specific)
ATTR_AVG_EM_RATE | Average emissions rate of WEIM transfers into California
CAISO PUBLIC

## AER_SUMMARY
TRADE_DT | TRADE_HR | GEN_MWH | IMP_MWH | EXP_MWH | GEN_GHG | IMP_GHG | EXP_GHG | AVG_EM_RATE | ATTR_MWH | ATTR_GHG | ATTR_AVG_EM_RATE
7/1/2026 | 1 | 78425 | 18599 | -19804 | 14765 | 7961 | -8476 | 0.185 | 997 | 0 | 0
7/1/2026 | 2 | 74886 | 18298 | -19458 | 14053 | 7831 | -8328 | 0.184 | 864 | 0 | 0
7/1/2026 | 3 | 72411 | 17949 | -19148 | 13704 | 7682 | -8195 | 0.185 | 1079 | 0 | 0
7/1/2026 | 4 | 71013 | 17979 | -19174 | 13386 | 7695 | -8206 | 0.184 | 1012 | 0 | 0
7/1/2026 | 5 | 71402 | 17291 | -18567 | 13306 | 7400 | -7947 | 0.182 | 790 | 0 | 0
7/1/2026 | 6 | 73394 | 17351 | -18524 | 13355 | 7427 | -7928 | 0.178 | 988 | 4 | 0.004
7/1/2026 | 7 | 76624 | 17470 | -19114 | 12773 | 7477 | -8181 | 0.161 | 1299 | 354 | 0.273
7/1/2026 | 8 | 79435 | 16077 | -17930 | 10302 | 6881 | -7674 | 0.123 | 0 | 0 | 0
7/1/2026 | 9 | 81948 | 15747 | -17768 | 9851 | 6740 | -7605 | 0.112 | 0 | 0 | 0
7/1/2026 | 10 | 82873 | 14790 | -16414 | 9874 | 6330 | -7026 | 0.113 | 0 | 0 | 0
7/1/2026 | 11 | 83879 | 14756 | -16511 | 9970 | 6316 | -7067 | 0.112 | 0 | 0 | 0
7/1/2026 | 12 | 84829 | 14740 | -16548 | 9955 | 6309 | -7082 | 0.111 | 0 | 0 | 0
7/1/2026 | 13 | 86357 | 14862 | -16725 | 10170 | 6361 | -7158 | 0.111 | 0 | 0 | 0
7/1/2026 | 14 | 88988 | 15338 | -17325 | 10760 | 6565 | -7415 | 0.114 | 0 | 0 | 0
7/1/2026 | 15 | 92114 | 15843 | -17970 | 11508 | 6781 | -7691 | 0.118 | 0 | 0 | 0
7/1/2026 | 16 | 95036 | 16520 | -18566 | 11788 | 7070 | -7946 | 0.117 | 0 | 0 | 0
7/1/2026 | 17 | 98557 | 17908 | -20144 | 12358 | 7664 | -8621 | 0.118 | 0 | 0 | 0
7/1/2026 | 18 | 101560 | 18113 | -20387 | 13225 | 7752 | -8726 | 0.123 | 0 | 0 | 0
7/1/2026 | 19 | 102969 | 19040 | -21093 | 14534 | 8149 | -9028 | 0.135 | 0 | 0 | 0
7/1/2026 | 20 | 101734 | 19516 | -21541 | 16830 | 8353 | -9220 | 0.16 | 87 | 0 | 0
7/1/2026 | 21 | 99724 | 21449 | -23372 | 17103 | 9180 | -10003 | 0.166 | 686 | 17 | 0.025
7/1/2026 | 22 | 96479 | 21533 | -23362 | 16774 | 9216 | -9999 | 0.169 | 1009 | 1 | 0.001
7/1/2026 | 23 | 90147 | 19621 | -21161 | 16521 | 8398 | -9057 | 0.179 | 664 | 0 | 0
7/1/2026 | 24 | 83919 | 18965 | -20136 | 16121 | 8117 | -8618 | 0.189 | 715 | 21 | 0.029
7/2/2026 | 1 | 79177 | 17924 | -18866 | 16488 | 7671 | -8075 | 0.206 | 882 | 1 | 0.001
7/2/2026 | 2 | 75494 | 17566 | -18530 | 16021 | 7519 | -7931 | 0.209 | 867 | 0 | 0
7/2/2026 | 3 | 72496 | 17188 | -18054 | 15369 | 7357 | -7727 | 0.209 | 917 | 108 | 0.118
7/2/2026 | 4 | 71121 | 16910 | -17754 | 15328 | 7237 | -7599 | 0.213 | 798 | 107 | 0.134
7/2/2026 | 5 | 71451 | 17205 | -18109 | 15620 | 7364 | -7751 | 0.216 | 617 | 0 | 0
7/2/2026 | 6 | 73593 | 17617 | -18444 | 16020 | 7540 | -7894 | 0.215 | 838 | 25 | 0.03
7/2/2026 | 7 | 76879 | 16356 | -17638 | 13585 | 7000 | -7549 | 0.172 | 1056 | 228 | 0.216
7/2/2026 | 8 | 80608 | 15251 | -16794 | 11657 | 6528 | -7188 | 0.139 | 243 | 108 | 0.444
7/2/2026 | 9 | 82461 | 14326 | -15957 | 11412 | 6131 | -6830 | 0.133 | 0 | 0 | 0
7/2/2026 | 10 | 83944 | 13784 | -15483 | 11412 | 5900 | -6627 | 0.13 | 0 | 0 | 0
7/2/2026 | 11 | 84623 | 13901 | -15703 | 11427 | 5950 | -6721 | 0.129 | 0 | 0 | 0
7/2/2026 | 12 | 85404 | 14014 | -15723 | 11703 | 5998 | -6729 | 0.131 | 0 | 0 | 0
7/2/2026 | 13 | 87483 | 14168 | -16100 | 12392 | 6064 | -6891 | 0.135 | 0 | 0 | 0
7/2/2026 | 14 | 90944 | 14663 | -16622 | 13071 | 6276 | -7115 | 0.137 | 0 | 0 | 0
7/2/2026 | 15 | 94967 | 15288 | -17593 | 13561 | 6543 | -7530 | 0.136 | 0 | 0 | 0
7/2/2026 | 16 | 98181 | 16258 | -18587 | 13808 | 6958 | -7955 | 0.134 | 0 | 0 | 0
7/2/2026 | 17 | 101488 | 17774 | -20108 | 13896 | 7607 | -8606 | 0.13 | 0 | 0 | 0
7/2/2026 | 18 | 105192 | 18974 | -21226 | 14742 | 8121 | -9085 | 0.134 | 0 | 0 | 0
7/2/2026 | 19 | 106613 | 21210 | -23716 | 16586 | 9078 | -10150 | 0.149 | 8 | 0 | 0
7/2/2026 | 20 | 104550 | 21248 | -23181 | 17975 | 9094 | -9921 | 0.167 | 492 | 0 | 0
7/2/2026 | 21 | 100925 | 21014 | -22461 | 17679 | 8994 | -9613 | 0.171 | 702 | 0 | 0
7/2/2026 | 22 | 97247 | 20868 | -22315 | 16920 | 8931 | -9551 | 0.17 | 1061 | 0 | 0
7/2/2026 | 23 | 91092 | 19775 | -20954 | 16630 | 8464 | -8968 | 0.179 | 884 | 2 | 0.002
7/2/2026 | 24 | 84418 | 18957 | -19778 | 16234 | 8114 | -8465 | 0.19 | 829 | 0 | 0
7/3/2026 | 1 | 79265 | 19153 | -20021 | 16083 | 8198 | -8569 | 0.2 | 751 | 1 | 0.001
7/3/2026 | 2 | 75020 | 18469 | -19102 | 15552 | 7904 | -8176 | 0.205 | 755 | 23 | 0.03
7/3/2026 | 3 | 72103 | 18192 | -18687 | 14753 | 7786 | -7998 | 0.203 | 899 | 112 | 0.125
7/3/2026 | 4 | 70178 | 18406 | -18470 | 14098 | 7878 | -7905 | 0.201 | 1007 | 139 | 0.138
7/3/2026 | 5 | 69738 | 18588 | -18714 | 14076 | 7956 | -8010 | 0.201 | 817 | 91 | 0.111
7/3/2026 | 6 | 70109 | 18822 | -18964 | 14425 | 8056 | -8117 | 0.205 | 760 | 105 | 0.138
7/3/2026 | 7 | 71995 | 18647 | -19270 | 12961 | 7981 | -8248 | 0.178 | 649 | 219 | 0.337
7/3/2026 | 8 | 74914 | 16892 | -17944 | 14132 | 7230 | -7680 | 0.185 | 0 | 0 | 0
7/3/2026 | 9 | 77155 | 15318 | -16546 | 16818 | 6556 | -7081 | 0.215 | 0 | 0 | 0
7/3/2026 | 10 | 79177 | 14946 | -16166 | 12194 | 6397 | -6919 | 0.15 | 0 | 0 | 0
7/3/2026 | 11 | 80908 | 15465 | -16596 | 10648 | 6619 | -7103 | 0.127 | 0 | 0 | 0
7/3/2026 | 12 | 83806 | 15673 | -16876 | 10823 | 6708 | -7223 | 0.125 | 0 | 0 | 0
7/3/2026 | 13 | 87185 | 15583 | -16858 | 10972 | 6670 | -7215 | 0.121 | 0 | 0 | 0
7/3/2026 | 14 | 92006 | 15520 | -17226 | 11548 | 6642 | -7372 | 0.12 | 0 | 0 | 0
7/3/2026 | 15 | 96478 | 16458 | -18390 | 12157 | 7044 | -7871 | 0.12 | 0 | 0 | 0
7/3/2026 | 16 | 101716 | 17248 | -19370 | 13182 | 7382 | -8290 | 0.123 | 0 | 0 | 0
7/3/2026 | 17 | 105631 | 19346 | -21349 | 14153 | 8280 | -9137 | 0.128 | 0 | 0 | 0
7/3/2026 | 18 | 109408 | 20759 | -22896 | 16464 | 8885 | -9799 | 0.145 | 0 | 0 | 0
7/3/2026 | 19 | 109473 | 21731 | -23106 | 18188 | 9301 | -9890 | 0.163 | 486 | 41 | 0.084
7/3/2026 | 20 | 106612 | 23329 | -24215 | 18748 | 9985 | -10364 | 0.174 | 733 | 16 | 0.022
7/3/2026 | 21 | 103149 | 22577 | -23476 | 18719 | 9663 | -10048 | 0.179 | 440 | 0 | 0
7/3/2026 | 22 | 99139 | 22190 | -23073 | 18604 | 9497 | -9875 | 0.185 | 344 | 14 | 0.041
7/3/2026 | 23 | 93014 | 20888 | -20978 | 19009 | 8940 | -8978 | 0.204 | 470 | 30 | 0.064
7/3/2026 | 24 | 86228 | 19914 | -20043 | 18665 | 8523 | -8579 | 0.216 | 850 | 52 | 0.061
7/4/2026 | 1 | 81482 | 19653 | -19705 | 18093 | 8411 | -8434 | 0.222 | 1120 | 182 | 0.162
7/4/2026 | 2 | 76758 | 19289 | -19192 | 17596 | 8256 | -8214 | 0.229 | 1460 | 208 | 0.142
7/4/2026 | 3 | 73131 | 19644 | -19486 | 17582 | 8408 | -8340 | 0.241 | 1309 | 119 | 0.091
7/4/2026 | 4 | 70848 | 19224 | -18843 | 15906 | 8228 | -8065 | 0.226 | 1254 | 29 | 0.023
7/4/2026 | 5 | 69924 | 19489 | -19232 | 15816 | 8342 | -8231 | 0.227 | 1354 | 38 | 0.028
7/4/2026 | 6 | 69531 | 20155 | -19986 | 15476 | 8626 | -8554 | 0.223 | 1259 | 64 | 0.051
7/4/2026 | 7 | 70673 | 18306 | -18770 | 13951 | 7835 | -8033 | 0.196 | 1647 | 326 | 0.198
7/4/2026 | 8 | 73139 | 16485 | -17508 | 12865 | 7056 | -7493 | 0.172 | 661 | 262 | 0.396
7/4/2026 | 9 | 75518 | 16328 | -17274 | 12309 | 6989 | -7394 | 0.16 | 391 | 176 | 0.45
7/4/2026 | 10 | 77699 | 16196 | -17030 | 12318 | 6932 | -7289 | 0.156 | 0 | 0 | 0
7/4/2026 | 11 | 80477 | 16379 | -17304 | 12543 | 7010 | -7406 | 0.153 | 0 | 0 | 0
7/4/2026 | 12 | 83295 | 16558 | -17374 | 12620 | 7087 | -7436 | 0.149 | 0 | 0 | 0
7/4/2026 | 13 | 86793 | 17124 | -18062 | 12495 | 7329 | -7731 | 0.141 | 0 | 0 | 0
7/4/2026 | 14 | 91202 | 17863 | -18860 | 13234 | 7645 | -8072 | 0.142 | 0 | 0 | 0
7/4/2026 | 15 | 95393 | 18675 | -19829 | 14607 | 7993 | -8487 | 0.15 | 0 | 0 | 0
7/4/2026 | 16 | 99213 | 19277 | -20555 | 16140 | 8250 | -8798 | 0.159 | 513 | 38 | 0.074
7/4/2026 | 17 | 102689 | 20549 | -21877 | 17645 | 8795 | -9363 | 0.168 | 875 | 45 | 0.051
7/4/2026 | 18 | 104561 | 21478 | -22688 | 18652 | 9193 | -9710 | 0.175 | 1530 | 160 | 0.105
7/4/2026 | 19 | 104783 | 21960 | -22720 | 19572 | 9399 | -9724 | 0.185 | 1531 | 160 | 0.105
7/4/2026 | 20 | 102387 | 23655 | -24147 | 20161 | 10124 | -10335 | 0.196 | 1191 | 20 | 0.017
7/4/2026 | 21 | 99060 | 22962 | -23577 | 20213 | 9828 | -10091 | 0.203 | 1091 | 40 | 0.037
7/4/2026 | 22 | 94096 | 22055 | -22674 | 18787 | 9439 | -9704 | 0.198 | 1596 | 239 | 0.15
7/4/2026 | 23 | 89637 | 21115 | -21185 | 18984 | 9037 | -9067 | 0.212 | 1249 | 100 | 0.08
7/4/2026 | 24 | 85426 | 20253 | -19953 | 18764 | 8668 | -8540 | 0.22 | 1180 | 151 | 0.128
7/5/2026 | 1 | 81515 | 19505 | -19491 | 18554 | 8348 | -8342 | 0.228 | 1840 | 407 | 0.221
7/5/2026 | 2 | 77372 | 18639 | -18537 | 18198 | 7977 | -7934 | 0.235 | 1807 | 419 | 0.232
7/5/2026 | 3 | 73771 | 18458 | -18227 | 17805 | 7900 | -7801 | 0.242 | 1402 | 292 | 0.208
7/5/2026 | 4 | 71678 | 18256 | -18038 | 17848 | 7814 | -7720 | 0.25 | 986 | 136 | 0.138
7/5/2026 | 5 | 70545 | 17736 | -17555 | 17980 | 7591 | -7514 | 0.255 | 1325 | 227 | 0.171
7/5/2026 | 6 | 69671 | 18320 | -18030 | 17252 | 7841 | -7717 | 0.248 | 1052 | 228 | 0.217
7/5/2026 | 7 | 70244 | 16819 | -16704 | 16084 | 7199 | -7149 | 0.229 | 2456 | 715 | 0.291
7/5/2026 | 8 | 72820 | 14988 | -15234 | 14542 | 6415 | -6520 | 0.199 | 1049 | 242 | 0.231
7/5/2026 | 9 | 75382 | 14432 | -15116 | 14338 | 6177 | -6470 | 0.188 | 167 | 77 | 0.461
7/5/2026 | 10 | 77753 | 14155 | -14916 | 13974 | 6059 | -6384 | 0.177 | 0 | 0 | 0
7/5/2026 | 11 | 80083 | 14388 | -15156 | 13856 | 6158 | -6486 | 0.171 | 0 | 0 | 0
7/5/2026 | 12 | 83405 | 14672 | -15598 | 14230 | 6280 | -6676 | 0.168 | 0 | 0 | 0
7/5/2026 | 13 | 87864 | 15099 | -16077 | 14612 | 6462 | -6881 | 0.163 | 0 | 0 | 0
7/5/2026 | 14 | 93223 | 15892 | -16730 | 15656 | 6802 | -7160 | 0.166 | 0 | 0 | 0
7/5/2026 | 15 | 98435 | 16946 | -18140 | 16645 | 7253 | -7764 | 0.166 | 0 | 0 | 0
7/5/2026 | 16 | 102474 | 18247 | -19287 | 17697 | 7810 | -8255 | 0.17 | 0 | 0 | 0
7/5/2026 | 17 | 106160 | 19582 | -20326 | 19470 | 8381 | -8700 | 0.182 | 0 | 0 | 0
7/5/2026 | 18 | 109614 | 20272 | -20891 | 20029 | 8676 | -8941 | 0.181 | 0 | 0 | 0
7/5/2026 | 19 | 111798 | 20637 | -21247 | 21581 | 8833 | -9094 | 0.192 | 0 | 0 | 0
7/5/2026 | 20 | 109341 | 21680 | -21999 | 22406 | 9279 | -9416 | 0.204 | 196 | 0 | 0
7/5/2026 | 21 | 105149 | 21598 | -21704 | 22782 | 9244 | -9290 | 0.216 | 404 | 0 | 0
7/5/2026 | 22 | 101402 | 21401 | -21336 | 22422 | 9160 | -9132 | 0.221 | 803 | 0 | 0
7/5/2026 | 23 | 94443 | 20134 | -19942 | 22092 | 8617 | -8535 | 0.234 | 876 | 0 | 0
7/5/2026 | 24 | 87426 | 19280 | -18879 | 21623 | 8252 | -8080 | 0.248 | 880 | 0 | 0
7/6/2026 | 1 | 82069 | 18672 | -18305 | 21552 | 7992 | -7835 | 0.263 | 590 | 0 | 0
7/6/2026 | 2 | 77654 | 18170 | -17599 | 21036 | 7777 | -7532 | 0.272 | 552 | 0 | 0
7/6/2026 | 3 | 74746 | 17716 | -17098 | 20492 | 7582 | -7318 | 0.275 | 858 | 118 | 0.138
7/6/2026 | 4 | 73180 | 17480 | -16894 | 19936 | 7481 | -7231 | 0.274 | 978 | 128 | 0.131
7/6/2026 | 5 | 73631 | 16694 | -16336 | 19866 | 7145 | -6992 | 0.271 | 1023 | 135 | 0.132
7/6/2026 | 6 | 76025 | 16646 | -16311 | 20229 | 7124 | -6981 | 0.267 | 815 | 10 | 0.012
7/6/2026 | 7 | 78841 | 19008 | -18277 | 19056 | 8136 | -7823 | 0.243 | 1086 | 218 | 0.201
7/6/2026 | 8 | 83609 | 16830 | -16848 | 16963 | 7203 | -7211 | 0.203 | 522 | 174 | 0.333
7/6/2026 | 9 | 87096 | 16753 | -16863 | 17041 | 7170 | -7217 | 0.195 | 383 | 121 | 0.316
7/6/2026 | 10 | 89579 | 16533 | -16601 | 17336 | 7076 | -7105 | 0.193 | 87 | 26 | 0.299
7/6/2026 | 11 | 92260 | 17095 | -17160 | 18024 | 7317 | -7344 | 0.195 | 41 | 13 | 0.317
7/6/2026 | 12 | 95629 | 17229 | -17194 | 18477 | 7374 | -7359 | 0.193 | 0 | 0 | 0
7/6/2026 | 13 | 100217 | 18299 | -18465 | 19384 | 7832 | -7903 | 0.193 | 0 | 0 | 0
7/6/2026 | 14 | 104873 | 18617 | -19118 | 19849 | 7968 | -8182 | 0.188 | 0 | 0 | 0
7/6/2026 | 15 | 109618 | 19733 | -20661 | 20789 | 8445 | -8842 | 0.188 | 0 | 0 | 0
7/6/2026 | 16 | 114915 | 20800 | -22060 | 21637 | 8903 | -9442 | 0.186 | 0 | 0 | 0
7/6/2026 | 17 | 119410 | 23244 | -24516 | 22391 | 9948 | -10493 | 0.185 | 0 | 0 | 0
7/6/2026 | 18 | 122245 | 23965 | -25125 | 23412 | 10257 | -10754 | 0.189 | 81 | 0 | 0
7/6/2026 | 19 | 122149 | 25963 | -26980 | 23984 | 11112 | -11548 | 0.194 | 871 | 2 | 0.002
7/6/2026 | 20 | 118393 | 26164 | -26675 | 25152 | 11198 | -11417 | 0.212 | 929 | 1 | 0.001
7/6/2026 | 21 | 114614 | 25379 | -25852 | 25839 | 10862 | -11064 | 0.225 | 731 | 8 | 0.011
7/6/2026 | 22 | 108968 | 23130 | -23047 | 25314 | 9900 | -9864 | 0.232 | 1041 | 69 | 0.066
7/6/2026 | 23 | 100821 | 19907 | -19880 | 24557 | 8520 | -8508 | 0.244 | 770 | 13 | 0.017
7/6/2026 | 24 | 92673 | 19527 | -19246 | 23992 | 8357 | -8238 | 0.259 | 668 | 0 | 0
7/7/2026 | 1 | 86552 | 19013 | -18495 | 23234 | 8137 | -7916 | 0.269 | 412 | 21 | 0.051
7/7/2026 | 2 | 81678 | 17936 | -17234 | 22677 | 7677 | -7376 | 0.279 | 587 | 74 | 0.126
7/7/2026 | 3 | 77750 | 17078 | -16112 | 22056 | 7309 | -6896 | 0.285 | 886 | 166 | 0.187
7/7/2026 | 4 | 75361 | 16762 | -15704 | 21891 | 7174 | -6721 | 0.292 | 720 | 86 | 0.119
7/7/2026 | 5 | 74972 | 17055 | -15885 | 21642 | 7300 | -6799 | 0.291 | 765 | 28 | 0.037
7/7/2026 | 6 | 76892 | 17424 | -16319 | 21707 | 7458 | -6985 | 0.284 | 798 | 29 | 0.036
7/7/2026 | 7 | 80214 | 17327 | -16574 | 20458 | 7416 | -7094 | 0.257 | 1335 | 278 | 0.208
7/7/2026 | 8 | 84984 | 15886 | -15647 | 17940 | 6799 | -6697 | 0.212 | 243 | 74 | 0.305
7/7/2026 | 9 | 88988 | 16200 | -16149 | 17894 | 6934 | -6912 | 0.201 | 33 | 5 | 0.152
7/7/2026 | 10 | 91353 | 15384 | -15566 | 18304 | 6585 | -6662 | 0.2 | 0 | 0 | 0
7/7/2026 | 11 | 94349 | 15739 | -16028 | 18740 | 6736 | -6860 | 0.198 | 0 | 0 | 0
7/7/2026 | 12 | 97864 | 15080 | -15429 | 19363 | 6454 | -6604 | 0.197 | 0 | 0 | 0
7/7/2026 | 13 | 102440 | 16046 | -16556 | 20008 | 6868 | -7086 | 0.194 | 0 | 0 | 0
7/7/2026 | 14 | 106620 | 16642 | -17467 | 20439 | 7123 | -7476 | 0.19 | 0 | 0 | 0
7/7/2026 | 15 | 111165 | 18458 | -19297 | 20906 | 7900 | -8259 | 0.186 | 0 | 0 | 0
7/7/2026 | 16 | 115595 | 19714 | -20836 | 21961 | 8438 | -8918 | 0.188 | 0 | 0 | 0
7/7/2026 | 17 | 118786 | 20738 | -22031 | 22414 | 8876 | -9430 | 0.186 | 0 | 0 | 0
7/7/2026 | 18 | 122771 | 21491 | -22995 | 23387 | 9199 | -9842 | 0.188 | 0 | 0 | 0
7/7/2026 | 19 | 123312 | 22055 | -23076 | 24496 | 9439 | -9877 | 0.197 | 0 | 0 | 0
7/7/2026 | 20 | 120513 | 24310 | -25202 | 25005 | 10405 | -10786 | 0.206 | 20 | 1 | 0.05
7/7/2026 | 21 | 114854 | 23431 | -23915 | 25069 | 10028 | -10236 | 0.217 | 333 | 0 | 0
7/7/2026 | 22 | 109589 | 22838 | -23248 | 25436 | 9775 | -9950 | 0.231 | 33 | 2 | 0.061
7/7/2026 | 23 | 101586 | 20030 | -20020 | 25470 | 8573 | -8568 | 0.251 | 65 | 5 | 0.077
7/7/2026 | 24 | 93043 | 19739 | -19489 | 25039 | 8449 | -8342 | 0.27 | 421 | 19 | 0.045
7/8/2026 | 1 | 88641 | 19014 | -18631 | 24414 | 8138 | -7974 | 0.276 | 367 | 0 | 0
7/8/2026 | 2 | 83368 | 18668 | -18202 | 23488 | 7990 | -7791 | 0.283 | 440 | 0 | 0
7/8/2026 | 3 | 79789 | 18443 | -17923 | 22462 | 7894 | -7671 | 0.282 | 454 | 0 | 0
7/8/2026 | 4 | 77767 | 18166 | -17821 | 21686 | 7775 | -7628 | 0.28 | 221 | 0 | 0
7/8/2026 | 5 | 77617 | 17870 | -17566 | 21194 | 7648 | -7518 | 0.274 | 53 | 0 | 0
7/8/2026 | 6 | 79415 | 17999 | -17961 | 21125 | 7704 | -7687 | 0.266 | 73 | 0 | 0
7/8/2026 | 7 | 82190 | 17994 | -18011 | 19873 | 7701 | -7708 | 0.242 | 284 | 0 | 0
7/8/2026 | 8 | 86228 | 16477 | -16770 | 17970 | 7052 | -7178 | 0.208 | 65 | 0 | 0
7/8/2026 | 9 | 89970 | 16108 | -16397 | 17844 | 6894 | -7018 | 0.198 | 1 | 0 | 0
7/8/2026 | 10 | 91791 | 15583 | -15740 | 17482 | 6670 | -6736 | 0.19 | 0 | 0 | 0
7/8/2026 | 11 | 94667 | 15824 | -16190 | 17928 | 6772 | -6929 | 0.188 | 0 | 0 | 0
7/8/2026 | 12 | 98191 | 16020 | -16504 | 18107 | 6856 | -7064 | 0.183 | 0 | 0 | 0
7/8/2026 | 13 | 101381 | 16234 | -16833 | 18402 | 6948 | -7204 | 0.18 | 0 | 0 | 0
7/8/2026 | 14 | 106451 | 16794 | -17688 | 18856 | 7188 | -7571 | 0.175 | 0 | 0 | 0
7/8/2026 | 15 | 109635 | 18302 | -19696 | 19267 | 7834 | -8430 | 0.172 | 0 | 0 | 0
7/8/2026 | 16 | 115994 | 19736 | -21377 | 20438 | 8447 | -9149 | 0.173 | 0 | 0 | 0
7/8/2026 | 17 | 118471 | 21534 | -23403 | 21598 | 9217 | -10017 | 0.178 | 77 | 0 | 0
7/8/2026 | 18 | 122164 | 23021 | -24994 | 23135 | 9853 | -10698 | 0.185 | 158 | 15 | 0.095
7/8/2026 | 19 | 123735 | 24036 | -25763 | 24369 | 10288 | -11026 | 0.194 | 0 | 0 | 0
7/8/2026 | 20 | 119881 | 25857 | -26795 | 25340 | 11067 | -11468 | 0.21 | 0 | 0 | 0
7/8/2026 | 21 | 115028 | 24528 | -25224 | 24991 | 10498 | -10796 | 0.216 | 0 | 0 | 0
7/8/2026 | 22 | 110248 | 23199 | -24083 | 24478 | 9929 | -10307 | 0.22 | 0 | 0 | 0
7/8/2026 | 23 | 102588 | 19421 | -20067 | 23803 | 8312 | -8589 | 0.231 | 0 | 0 | 0
7/8/2026 | 24 | 94440 | 18750 | -18971 | 23164 | 8025 | -8119 | 0.245 | 76 | 0 | 0
7/9/2026 | 1 | 88476 | 17584 | -17517 | 22387 | 7526 | -7497 | 0.253 | 513 | 0 | 0
7/9/2026 | 2 | 83630 | 17038 | -16965 | 21582 | 7292 | -7261 | 0.258 | 668 | 0 | 0
7/9/2026 | 3 | 80235 | 17336 | -17300 | 21081 | 7420 | -7404 | 0.263 | 746 | 16 | 0.021
7/9/2026 | 4 | 78039 | 16955 | -17060 | 20825 | 7257 | -7302 | 0.267 | 934 | 59 | 0.063
7/9/2026 | 5 | 77883 | 16856 | -16929 | 20794 | 7214 | -7245 | 0.267 | 835 | 19 | 0.023
7/9/2026 | 6 | 79832 | 17056 | -17322 | 20822 | 7300 | -7414 | 0.26 | 1072 | 33 | 0.031
7/9/2026 | 7 | 82716 | 17926 | -18089 | 19795 | 7672 | -7742 | 0.239 | 1203 | 147 | 0.122
7/9/2026 | 8 | 87519 | 15427 | -16256 | 17961 | 6603 | -6958 | 0.203 | 511 | 26 | 0.051
7/9/2026 | 9 | 90484 | 15548 | -16206 | 17674 | 6655 | -6936 | 0.194 | 305 | 0 | 0
7/9/2026 | 10 | 92766 | 15457 | -16340 | 18103 | 6616 | -6994 | 0.193 | 123 | 0 | 0
7/9/2026 | 11 | 95318 | 15888 | -16340 | 18127 | 6800 | -6994 | 0.189 | 0 | 0 | 0
7/9/2026 | 12 | 99030 | 15706 | -16392 | 18475 | 6722 | -7016 | 0.185 | 0 | 0 | 0
7/9/2026 | 13 | 103048 | 15812 | -16422 | 19461 | 6767 | -7029 | 0.187 | 0 | 0 | 0
7/9/2026 | 14 | 107969 | 16751 | -17464 | 20478 | 7169 | -7475 | 0.188 | 0 | 0 | 0
7/9/2026 | 15 | 113769 | 18844 | -20261 | 21509 | 8065 | -8672 | 0.186 | 0 | 0 | 0
7/9/2026 | 16 | 118388 | 19494 | -21514 | 22449 | 8344 | -9208 | 0.185 | 0 | 0 | 0
7/9/2026 | 17 | 121330 | 22157 | -23966 | 22845 | 9483 | -10257 | 0.185 | 647 | 0 | 0
7/9/2026 | 18 | 125056 | 23577 | -25381 | 23134 | 10091 | -10863 | 0.181 | 78 | 2 | 0.026
7/9/2026 | 19 | 126623 | 24354 | -26271 | 24738 | 10423 | -11244 | 0.192 | 0 | 0 | 0
7/9/2026 | 20 | 123017 | 25615 | -27401 | 26253 | 10963 | -11728 | 0.21 | 33 | 2 | 0.061
7/9/2026 | 21 | 118044 | 25703 | -27152 | 26374 | 11001 | -11621 | 0.221 | 15 | 0 | 0
7/9/2026 | 22 | 112509 | 24921 | -26039 | 26101 | 10666 | -11145 | 0.23 | 310 | 10 | 0.032
7/9/2026 | 23 | 104363 | 21399 | -21880 | 25902 | 9159 | -9365 | 0.247 | 0 | 0 | 0
7/9/2026 | 24 | 95989 | 20766 | -20626 | 25217 | 8888 | -8828 | 0.263 | 707 | 0 | 0
7/10/2026 | 1 | 90199 | 20471 | -19872 | 24391 | 8762 | -8505 | 0.271 | 617 | 0 | 0
7/10/2026 | 2 | 85277 | 19595 | -19164 | 23559 | 8387 | -8202 | 0.277 | 778 | 33 | 0.042
7/10/2026 | 3 | 81547 | 18579 | -18150 | 22787 | 7952 | -7768 | 0.28 | 1142 | 232 | 0.203
7/10/2026 | 4 | 78897 | 18368 | -17866 | 22230 | 7862 | -7647 | 0.283 | 823 | 52 | 0.063
7/10/2026 | 5 | 78443 | 18628 | -18118 | 22085 | 7973 | -7754 | 0.282 | 1044 | 217 | 0.208
7/10/2026 | 6 | 80146 | 19018 | -18639 | 21996 | 8140 | -7977 | 0.275 | 1481 | 284 | 0.192
7/10/2026 | 7 | 82957 | 18951 | -18722 | 21129 | 8111 | -8013 | 0.255 | 1874 | 446 | 0.238
7/10/2026 | 8 | 87202 | 16087 | -16416 | 18857 | 6886 | -7026 | 0.215 | 592 | 122 | 0.206
7/10/2026 | 9 | 90498 | 15222 | -15665 | 18724 | 6515 | -6705 | 0.206 | 195 | 0 | 0
7/10/2026 | 10 | 92241 | 15078 | -15325 | 18954 | 6453 | -6559 | 0.205 | 75 | 0 | 0
7/10/2026 | 11 | 95648 | 14832 | -15476 | 19431 | 6348 | -6624 | 0.202 | 47 | 0 | 0
7/10/2026 | 12 | 99526 | 14699 | -15652 | 19803 | 6291 | -6699 | 0.197 | 0 | 0 | 0
7/10/2026 | 13 | 103771 | 14766 | -15724 | 20246 | 6320 | -6730 | 0.193 | 0 | 0 | 0
7/10/2026 | 14 | 108283 | 15168 | -16217 | 20865 | 6492 | -6941 | 0.19 | 0 | 0 | 0
7/10/2026 | 15 | 112312 | 17289 | -18483 | 21350 | 7400 | -7911 | 0.188 | 0 | 0 | 0
7/10/2026 | 16 | 116693 | 18633 | -20445 | 21963 | 7975 | -8750 | 0.184 | 0 | 0 | 0
7/10/2026 | 17 | 120446 | 21103 | -23046 | 22412 | 9032 | -9864 | 0.182 | 0 | 0 | 0
7/10/2026 | 18 | 123778 | 22057 | -24263 | 23248 | 9440 | -10384 | 0.183 | 297 | 16 | 0.054
7/10/2026 | 19 | 124402 | 24031 | -26164 | 24491 | 10285 | -11198 | 0.193 | 204 | 10 | 0.049
7/10/2026 | 20 | 121960 | 24148 | -26065 | 27366 | 10335 | -11156 | 0.221 | 734 | 30 | 0.041
7/10/2026 | 21 | 117190 | 23672 | -25169 | 31669 | 10132 | -10772 | 0.268 | 1127 | 36 | 0.032
7/10/2026 | 22 | 111974 | 23416 | -24567 | 25655 | 10022 | -10514 | 0.227 | 963 | 31 | 0.032
7/10/2026 | 23 | 103898 | 20523 | -20814 | 24490 | 8784 | -8908 | 0.235 | 681 | 35 | 0.051
7/10/2026 | 24 | 95953 | 21012 | -20776 | 23726 | 8993 | -8892 | 0.248 | 534 | 0 | 0
7/11/2026 | 1 | 90165 | 20291 | -19940 | 22974 | 8684 | -8534 | 0.255 | 528 | 0 | 0
7/11/2026 | 2 | 85111 | 19432 | -18993 | 22144 | 8317 | -8129 | 0.261 | 653 | 0 | 0
7/11/2026 | 3 | 81275 | 18738 | -18454 | 21582 | 8020 | -7898 | 0.266 | 889 | 0 | 0
7/11/2026 | 4 | 78771 | 18748 | -18464 | 21543 | 8024 | -7902 | 0.274 | 992 | 2 | 0.002
7/11/2026 | 5 | 77387 | 18159 | -18012 | 21339 | 7772 | -7709 | 0.276 | 828 | 1 | 0.001
7/11/2026 | 6 | 76577 | 18619 | -18231 | 21034 | 7969 | -7803 | 0.275 | 1018 | 108 | 0.106
7/11/2026 | 7 | 77015 | 19100 | -18835 | 19581 | 8175 | -8061 | 0.255 | 1193 | 233 | 0.195
7/11/2026 | 8 | 79676 | 16070 | -16127 | 17264 | 6878 | -6902 | 0.217 | 141 | 1 | 0.007
7/11/2026 | 9 | 83136 | 15824 | -15650 | 16780 | 6772 | -6698 | 0.202 | 0 | 0 | 0
7/11/2026 | 10 | 86814 | 15545 | -15585 | 17178 | 6653 | -6670 | 0.198 | 0 | 0 | 0
7/11/2026 | 11 | 89609 | 14804 | -15058 | 17525 | 6336 | -6445 | 0.195 | 0 | 0 | 0
7/11/2026 | 12 | 92602 | 15108 | -15310 | 17510 | 6466 | -6552 | 0.189 | 0 | 0 | 0
7/11/2026 | 13 | 96279 | 15004 | -15344 | 17819 | 6422 | -6567 | 0.184 | 0 | 0 | 0
7/11/2026 | 14 | 100719 | 15763 | -16202 | 18330 | 6747 | -6934 | 0.181 | 0 | 0 | 0
7/11/2026 | 15 | 105968 | 17195 | -17822 | 19651 | 7360 | -7628 | 0.184 | 0 | 0 | 0
7/11/2026 | 16 | 111371 | 17723 | -18682 | 20904 | 7586 | -7996 | 0.186 | 0 | 0 | 0
7/11/2026 | 17 | 115664 | 20562 | -21437 | 21898 | 8801 | -9175 | 0.188 | 0 | 0 | 0
7/11/2026 | 18 | 118424 | 21963 | -22550 | 23825 | 9400 | -9651 | 0.2 | 0 | 0 | 0
7/11/2026 | 19 | 118203 | 24031 | -24611 | 25312 | 10285 | -10533 | 0.213 | 231 | 11 | 0.048
7/11/2026 | 20 | 113952 | 25280 | -25615 | 25881 | 10820 | -10963 | 0.227 | 612 | 30 | 0.049
7/11/2026 | 21 | 110582 | 24866 | -25072 | 25661 | 10643 | -10731 | 0.232 | 227 | 13 | 0.057
7/11/2026 | 22 | 107465 | 23866 | -24383 | 25570 | 10215 | -10436 | 0.237 | 766 | 30 | 0.039
7/11/2026 | 23 | 101138 | 21438 | -21731 | 25258 | 9175 | -9301 | 0.249 | 1044 | 65 | 0.062
7/11/2026 | 24 | 94230 | 21591 | -21623 | 24765 | 9241 | -9255 | 0.263 | 1279 | 130 | 0.102
7/12/2026 | 1 | 89233 | 18284 | -18794 | 24303 | 7825 | -8044 | 0.271 | 1074 | 250 | 0.233
7/12/2026 | 2 | 84330 | 19375 | -19383 | 23685 | 8292 | -8296 | 0.281 | 809 | 170 | 0.21
7/12/2026 | 3 | 81030 | 17537 | -18005 | 22870 | 7506 | -7706 | 0.281 | 1472 | 400 | 0.272
7/12/2026 | 4 | 78180 | 18718 | -18802 | 22598 | 8011 | -8047 | 0.289 | 1297 | 328 | 0.253
7/12/2026 | 5 | 76629 | 18554 | -18170 | 22264 | 7941 | -7777 | 0.291 | 1314 | 317 | 0.241
7/12/2026 | 6 | 75312 | 18686 | -17972 | 21622 | 7997 | -7692 | 0.288 | 1473 | 366 | 0.248
7/12/2026 | 7 | 76369 | 18310 | -17780 | 20997 | 7837 | -7610 | 0.276 | 3260 | 989 | 0.303
7/12/2026 | 8 | 80175 | 15369 | -15379 | 20490 | 6578 | -6582 | 0.256 | 3536 | 1089 | 0.308
7/12/2026 | 9 | 83604 | 15988 | -15933 | 20514 | 6843 | -6819 | 0.245 | 1774 | 456 | 0.257
7/12/2026 | 10 | 86930 | 15294 | -15293 | 20992 | 6546 | -6546 | 0.241 | 1764 | 537 | 0.304
7/12/2026 | 11 | 89547 | 15728 | -15756 | 21251 | 6732 | -6743 | 0.237 | 900 | 190 | 0.211
7/12/2026 | 12 | 93536 | 15755 | -15730 | 22087 | 6743 | -6733 | 0.236 | 322 | 3 | 0.009
7/12/2026 | 13 | 96276 | 15893 | -15719 | 23151 | 6802 | -6728 | 0.241 | 125 | 0 | 0
7/12/2026 | 14 | 101187 | 16709 | -16650 | 23784 | 7151 | -7126 | 0.235 | 10 | 0 | 0
7/12/2026 | 15 | 104967 | 18148 | -18085 | 24182 | 7768 | -7741 | 0.23 | 0 | 0 | 0
7/12/2026 | 16 | 108625 | 18340 | -18538 | 24853 | 7850 | -7934 | 0.228 | 303 | 0 | 0
7/12/2026 | 17 | 112032 | 19106 | -19572 | 25288 | 8178 | -8377 | 0.225 | 437 | 0 | 0
7/12/2026 | 18 | 114112 | 20820 | -20830 | 26037 | 8911 | -8915 | 0.228 | 1056 | 32 | 0.03
7/12/2026 | 19 | 114172 | 22520 | -22301 | 25976 | 9639 | -9545 | 0.228 | 739 | 39 | 0.053
7/12/2026 | 20 | 111917 | 23130 | -22801 | 25624 | 9900 | -9758 | 0.23 | 719 | 31 | 0.043
7/12/2026 | 21 | 109278 | 22626 | -22432 | 25639 | 9684 | -9601 | 0.235 | 653 | 82 | 0.126
7/12/2026 | 22 | 105488 | 22580 | -22150 | 25826 | 9665 | -9480 | 0.246 | 1870 | 359 | 0.192
7/12/2026 | 23 | 98752 | 20839 | -20031 | 25571 | 8919 | -8573 | 0.26 | 2248 | 534 | 0.238
7/12/2026 | 24 | 91975 | 20092 | -19132 | 25320 | 8599 | -8189 | 0.277 | 2751 | 780 | 0.284
7/13/2026 | 1 | 86861 | 19130 | -18235 | 25362 | 8188 | -7805 | 0.293 | 2529 | 714 | 0.282
7/13/2026 | 2 | 82904 | 19134 | -18381 | 25314 | 8189 | -7867 | 0.306 | 1841 | 422 | 0.229
7/13/2026 | 3 | 79870 | 18809 | -18218 | 25200 | 8050 | -7797 | 0.316 | 1676 | 436 | 0.26
7/13/2026 | 4 | 78679 | 17777 | -17486 | 25201 | 7608 | -7484 | 0.321 | 1763 | 470 | 0.267
7/13/2026 | 5 | 79162 | 17927 | -17673 | 25419 | 7673 | -7564 | 0.321 | 1621 | 407 | 0.251
7/13/2026 | 6 | 81338 | 17716 | -17487 | 25570 | 7583 | -7484 | 0.315 | 1519 | 375 | 0.247
7/13/2026 | 7 | 85006 | 18545 | -18390 | 25523 | 7937 | -7871 | 0.3 | 2099 | 576 | 0.274
7/13/2026 | 8 | 89643 | 16972 | -17143 | 25281 | 7264 | -7337 | 0.282 | 1803 | 532 | 0.295
7/13/2026 | 9 | 94060 | 17274 | -17585 | 25704 | 7393 | -7527 | 0.273 | 1749 | 483 | 0.276
7/13/2026 | 10 | 96996 | 17571 | -18046 | 25993 | 7521 | -7724 | 0.267 | 1981 | 568 | 0.287
7/13/2026 | 11 | 99890 | 17754 | -18148 | 26420 | 7599 | -7767 | 0.264 | 1357 | 364 | 0.268
7/13/2026 | 12 | 103435 | 18239 | -18653 | 26795 | 7806 | -7983 | 0.258 | 678 | 140 | 0.206
7/13/2026 | 13 | 108186 | 18882 | -19402 | 27431 | 8082 | -8304 | 0.253 | 451 | 4 | 0.009
7/13/2026 | 14 | 112164 | 18598 | -19221 | 27944 | 7960 | -8227 | 0.248 | 870 | 128 | 0.147
7/13/2026 | 15 | 116453 | 20299 | -21004 | 28399 | 8688 | -8990 | 0.243 | 561 | 7 | 0.012
7/13/2026 | 16 | 120342 | 21232 | -22049 | 29131 | 9087 | -9437 | 0.241 | 347 | 0 | 0
7/13/2026 | 17 | 123139 | 23038 | -23757 | 29454 | 9860 | -10168 | 0.238 | 298 | 10 | 0.034
7/13/2026 | 18 | 124978 | 23592 | -24498 | 29787 | 10098 | -10485 | 0.237 | 0 | 0 | 0
7/13/2026 | 19 | 123028 | 24487 | -25248 | 30032 | 10480 | -10806 | 0.243 | 186 | 4 | 0.022
7/13/2026 | 20 | 118598 | 24439 | -25112 | 30204 | 10460 | -10748 | 0.254 | 1711 | 361 | 0.211
7/13/2026 | 21 | 114240 | 24459 | -25208 | 29559 | 10468 | -10789 | 0.258 | 2054 | 401 | 0.195
7/13/2026 | 22 | 110029 | 24091 | -24445 | 29230 | 10311 | -10462 | 0.265 | 1739 | 323 | 0.186
7/13/2026 | 23 | 102333 | 21647 | -21392 | 28474 | 9265 | -9156 | 0.279 | 836 | 96 | 0.115
7/13/2026 | 24 | 94494 | 20988 | -20275 | 27528 | 8983 | -8678 | 0.292 | 1149 | 184 | 0.16
7/14/2026 | 1 | 88552 | 19732 | -18933 | 27167 | 8446 | -8104 | 0.308 | 986 | 156 | 0.158
7/14/2026 | 2 | 84320 | 18957 | -18139 | 27123 | 8113 | -7764 | 0.323 | 1077 | 229 | 0.213
7/14/2026 | 3 | 81319 | 18342 | -17752 | 26751 | 7850 | -7598 | 0.33 | 1012 | 232 | 0.229
7/14/2026 | 4 | 79243 | 17394 | -16843 | 26811 | 7445 | -7209 | 0.339 | 439 | 48 | 0.109
7/14/2026 | 5 | 79268 | 17239 | -16700 | 26833 | 7378 | -7147 | 0.339 | 422 | 36 | 0.085
7/14/2026 | 6 | 81773 | 17650 | -17372 | 26915 | 7554 | -7435 | 0.329 | 496 | 39 | 0.079
7/14/2026 | 7 | 85322 | 19106 | -18514 | 26344 | 8177 | -7924 | 0.31 | 839 | 144 | 0.172
7/14/2026 | 8 | 90052 | 17426 | -17414 | 25528 | 7458 | -7453 | 0.283 | 140 | 16 | 0.114
7/14/2026 | 9 | 93309 | 18562 | -18695 | 25592 | 7944 | -8002 | 0.274 | 0 | 0 | 0
7/14/2026 | 10 | 96388 | 18105 | -18674 | 24736 | 7749 | -7992 | 0.256 | 0 | 0 | 0
7/14/2026 | 11 | 100354 | 17944 | -18909 | 24885 | 7680 | -8093 | 0.246 | 0 | 0 | 0
7/14/2026 | 12 | 104937 | 18576 | -19672 | 25114 | 7951 | -8419 | 0.237 | 0 | 0 | 0
7/14/2026 | 13 | 109914 | 19814 | -20941 | 25503 | 8480 | -8963 | 0.23 | 0 | 0 | 0
7/14/2026 | 14 | 115511 | 20374 | -21528 | 26532 | 8720 | -9214 | 0.228 | 0 | 0 | 0
7/14/2026 | 15 | 120544 | 21553 | -22784 | 27234 | 9225 | -9751 | 0.224 | 42 | 3 | 0.071
7/14/2026 | 16 | 124703 | 22503 | -23846 | 27868 | 9631 | -10206 | 0.221 | 0 | 0 | 0
7/14/2026 | 17 | 128241 | 24345 | -25752 | 28640 | 10420 | -11022 | 0.221 | 0 | 0 | 0
7/14/2026 | 18 | 130671 | 24976 | -26186 | 28736 | 10690 | -11207 | 0.218 | 287 | 5 | 0.017
7/14/2026 | 19 | 130798 | 25733 | -26612 | 29285 | 11014 | -11390 | 0.223 | 235 | 2 | 0.009
7/14/2026 | 20 | 127815 | 26333 | -26821 | 29457 | 11271 | -11480 | 0.23 | 1232 | 43 | 0.035
7/14/2026 | 21 | 123400 | 24967 | -25488 | 29294 | 10686 | -10909 | 0.237 | 1034 | 6 | 0.006
7/14/2026 | 22 | 117423 | 25567 | -25726 | 28779 | 10942 | -11011 | 0.245 | 1536 | 88 | 0.057
7/14/2026 | 23 | 109987 | 20899 | -21217 | 28570 | 8945 | -9081 | 0.259 | 947 | 34 | 0.036
7/14/2026 | 24 | 101329 | 20285 | -20237 | 28137 | 8682 | -8661 | 0.278 | 947 | 0 | 0
7/15/2026 | 1 | 95033 | 19554 | -19268 | 27654 | 8369 | -8247 | 0.291 | 786 | 27 | 0.034
7/15/2026 | 2 | 89237 | 19403 | -18875 | 26865 | 8304 | -8078 | 0.302 | 533 | 8 | 0.015
7/15/2026 | 3 | 85329 | 19421 | -18722 | 26560 | 8312 | -8013 | 0.312 | 352 | 0 | 0
7/15/2026 | 4 | 82828 | 18934 | -18214 | 26255 | 8104 | -7796 | 0.318 | 204 | 0 | 0
7/15/2026 | 5 | 82251 | 18580 | -17745 | 26215 | 7952 | -7595 | 0.32 | 351 | 0 | 0
7/15/2026 | 6 | 83642 | 19009 | -17982 | 26256 | 8136 | -7696 | 0.315 | 2 | 0 | 0
7/15/2026 | 7 | 87185 | 19091 | -18564 | 25710 | 8171 | -7946 | 0.296 | 0 | 0 | 0
7/15/2026 | 8 | 91990 | 18037 | -17881 | 24657 | 7720 | -7653 | 0.268 | 13 | 0 | 0
7/15/2026 | 9 | 96003 | 17969 | -18208 | 24865 | 7690 | -7793 | 0.259 | 0 | 0 | 0
7/15/2026 | 10 | 99767 | 17807 | -18301 | 25271 | 7621 | -7833 | 0.252 | 0 | 0 | 0
7/15/2026 | 11 | 103830 | 17111 | -17736 | 25690 | 7324 | -7591 | 0.246 | 0 | 0 | 0
7/15/2026 | 12 | 108940 | 17367 | -18263 | 26131 | 7433 | -7817 | 0.238 | 0 | 0 | 0
7/15/2026 | 13 | 114265 | 18882 | -19755 | 26045 | 8081 | -8455 | 0.226 | 0 | 0 | 0
7/15/2026 | 14 | 119776 | 19647 | -20665 | 26962 | 8409 | -8844 | 0.223 | 0 | 0 | 0
7/15/2026 | 15 | 124673 | 21049 | -22000 | 27769 | 9009 | -9416 | 0.221 | 0 | 0 | 0
7/15/2026 | 16 | 129370 | 21336 | -22373 | 28385 | 9132 | -9576 | 0.218 | 0 | 0 | 0
7/15/2026 | 17 | 132587 | 23491 | -24706 | 29302 | 10054 | -10574 | 0.219 | 0 | 0 | 0
7/15/2026 | 18 | 134384 | 23995 | -25399 | 30212 | 10270 | -10871 | 0.223 | 0 | 0 | 0
7/15/2026 | 19 | 133371 | 25542 | -26700 | 30449 | 10932 | -11428 | 0.227 | 515 | 10 | 0.019
7/15/2026 | 20 | 129763 | 25306 | -26269 | 30772 | 10831 | -11243 | 0.236 | 1414 | 197 | 0.139
7/15/2026 | 21 | 124385 | 24795 | -25820 | 30667 | 10612 | -11051 | 0.245 | 1370 | 72 | 0.053
7/15/2026 | 22 | 118561 | 24610 | -25448 | 29712 | 10533 | -10892 | 0.249 | 1158 | 25 | 0.022
7/15/2026 | 23 | 110109 | 20725 | -21575 | 29262 | 8870 | -9234 | 0.264 | 369 | 0 | 0
7/15/2026 | 24 | 101770 | 19144 | -19770 | 29156 | 8193 | -8462 | 0.286 | 871 | 0 | 0
7/16/2026 | 1 | 95361 | 18107 | -18877 | 28492 | 7750 | -8079 | 0.298 | 192 | 0 | 0
7/16/2026 | 2 | 90051 | 16828 | -17813 | 27966 | 7202 | -7624 | 0.309 | 287 | 0 | 0
7/16/2026 | 3 | 86020 | 16389 | -17196 | 27843 | 7015 | -7360 | 0.323 | 300 | 0 | 0
7/16/2026 | 4 | 83527 | 16245 | -16868 | 27721 | 6953 | -7220 | 0.331 | 322 | 0 | 0
7/16/2026 | 5 | 83143 | 15999 | -16546 | 27302 | 6848 | -7082 | 0.328 | 297 | 0 | 0
7/16/2026 | 6 | 84545 | 16858 | -17282 | 27218 | 7215 | -7397 | 0.321 | 43 | 0 | 0
7/16/2026 | 7 | 87228 | 16360 | -16885 | 26442 | 7002 | -7227 | 0.302 | 335 | 0 | 0
7/16/2026 | 8 | 91232 | 15704 | -16584 | 25390 | 6721 | -7098 | 0.277 | 0 | 0 | 0
7/16/2026 | 9 | 93725 | 15417 | -16075 | 24703 | 6598 | -6880 | 0.262 | 0 | 0 | 0
7/16/2026 | 10 | 96447 | 15919 | -16552 | 24717 | 6814 | -7084 | 0.255 | 0 | 0 | 0
7/16/2026 | 11 | 100029 | 16046 | -16839 | 25423 | 6868 | -7207 | 0.253 | 0 | 0 | 0
7/16/2026 | 12 | 103691 | 16182 | -17098 | 25745 | 6926 | -7318 | 0.247 | 0 | 0 | 0
7/16/2026 | 13 | 108237 | 17205 | -18462 | 25886 | 7364 | -7902 | 0.237 | 182 | 0 | 0
7/16/2026 | 14 | 112302 | 18094 | -19624 | 26505 | 7744 | -8399 | 0.233 | 509 | 0 | 0
7/16/2026 | 15 | 115580 | 18832 | -20823 | 26604 | 8060 | -8912 | 0.227 | 328 | 0 | 0
7/16/2026 | 16 | 120218 | 20933 | -23277 | 26717 | 8959 | -9962 | 0.218 | 231 | 10 | 0.043
7/16/2026 | 17 | 122796 | 22762 | -24922 | 27054 | 9742 | -10667 | 0.217 | 162 | 7 | 0.043
7/16/2026 | 18 | 124715 | 23500 | -25717 | 27357 | 10058 | -11007 | 0.216 | 513 | 1 | 0.002
7/16/2026 | 19 | 124441 | 24796 | -26718 | 28222 | 10613 | -11435 | 0.224 | 487 | 9 | 0.018
7/16/2026 | 20 | 120842 | 25180 | -26814 | 28702 | 10777 | -11477 | 0.235 | 710 | 1 | 0.001
7/16/2026 | 21 | 116898 | 24192 | -25616 | 28422 | 10354 | -10963 | 0.241 | 1038 | 146 | 0.141
7/16/2026 | 22 | 112697 | 23788 | -25288 | 27714 | 10181 | -10823 | 0.243 | 1012 | 101 | 0.1
7/16/2026 | 23 | 104634 | 21071 | -22218 | 26912 | 9018 | -9510 | 0.255 | 910 | 121 | 0.133
7/16/2026 | 24 | 96750 | 20720 | -21449 | 26011 | 8868 | -9180 | 0.268 | 1295 | 126 | 0.097
7/17/2026 | 1 | 90714 | 18731 | -19216 | 25622 | 8017 | -8224 | 0.282 | 817 | 9 | 0.011
7/17/2026 | 2 | 85665 | 18563 | -18644 | 24752 | 7945 | -7980 | 0.289 | 864 | 57 | 0.066
7/17/2026 | 3 | 82101 | 17920 | -17896 | 24251 | 7670 | -7659 | 0.295 | 1125 | 191 | 0.17
7/17/2026 | 4 | 79968 | 17748 | -17780 | 23831 | 7596 | -7610 | 0.298 | 745 | 84 | 0.113
7/17/2026 | 5 | 79969 | 17284 | -17300 | 24081 | 7398 | -7405 | 0.301 | 798 | 12 | 0.015
7/17/2026 | 6 | 81667 | 18088 | -18148 | 24364 | 7742 | -7768 | 0.298 | 756 | 58 | 0.077
7/17/2026 | 7 | 85092 | 17455 | -18124 | 24250 | 7471 | -7757 | 0.284 | 1108 | 197 | 0.178
7/17/2026 | 8 | 88108 | 16403 | -17270 | 23084 | 7020 | -7391 | 0.26 | 737 | 44 | 0.06
7/17/2026 | 9 | 90693 | 16529 | -17560 | 22633 | 7074 | -7516 | 0.247 | 479 | 1 | 0.002
7/17/2026 | 10 | 93145 | 16203 | -17512 | 22602 | 6935 | -7495 | 0.24 | 430 | 0 | 0
7/17/2026 | 11 | 95414 | 15718 | -17162 | 21838 | 6727 | -7346 | 0.226 | 391 | 0 | 0
7/17/2026 | 12 | 97805 | 15947 | -17473 | 21706 | 6825 | -7479 | 0.219 | 338 | 0 | 0
7/17/2026 | 13 | 101428 | 16527 | -18260 | 22423 | 7073 | -7816 | 0.217 | 155 | 0 | 0
7/17/2026 | 14 | 105170 | 17392 | -19491 | 23030 | 7444 | -8342 | 0.215 | 218 | 0 | 0
7/17/2026 | 15 | 108335 | 18283 | -20294 | 23448 | 7825 | -8686 | 0.212 | 0 | 0 | 0
7/17/2026 | 16 | 111732 | 19643 | -21770 | 23685 | 8407 | -9317 | 0.208 | 0 | 0 | 0
7/17/2026 | 17 | 113516 | 20857 | -22843 | 23643 | 8927 | -9777 | 0.204 | 0 | 0 | 0
7/17/2026 | 18 | 115515 | 22328 | -24364 | 24191 | 9556 | -10428 | 0.205 | 102 | 2 | 0.02
7/17/2026 | 19 | 116308 | 23323 | -25105 | 24549 | 9982 | -10745 | 0.208 | 941 | 100 | 0.106
7/17/2026 | 20 | 113301 | 23283 | -24582 | 24573 | 9965 | -10521 | 0.214 | 1556 | 347 | 0.223
7/17/2026 | 21 | 110032 | 23369 | -24509 | 24074 | 10002 | -10490 | 0.217 | 1210 | 204 | 0.169
7/17/2026 | 22 | 106138 | 23543 | -24338 | 23678 | 10076 | -10417 | 0.222 | 1371 | 151 | 0.11
7/17/2026 | 23 | 99161 | 21422 | -21463 | 23770 | 9168 | -9186 | 0.24 | 682 | 30 | 0.044
7/17/2026 | 24 | 92356 | 20026 | -19779 | 23115 | 8571 | -8466 | 0.251 | 945 | 134 | 0.142
7/18/2026 | 1 | 88037 | 18991 | -19189 | 22749 | 8128 | -8213 | 0.258 | 850 | 101 | 0.119
7/18/2026 | 2 | 84124 | 18509 | -18793 | 22560 | 7922 | -8044 | 0.268 | 1160 | 200 | 0.172
7/18/2026 | 3 | 80710 | 18208 | -18659 | 22179 | 7793 | -7986 | 0.274 | 617 | 54 | 0.088
7/18/2026 | 4 | 78613 | 18116 | -18640 | 21622 | 7754 | -7978 | 0.274 | 421 | 37 | 0.088
7/18/2026 | 5 | 77832 | 17858 | -18414 | 21240 | 7643 | -7882 | 0.272 | 1457 | 263 | 0.181
7/18/2026 | 6 | 77467 | 17914 | -18197 | 21224 | 7667 | -7788 | 0.273 | 1050 | 161 | 0.153
7/18/2026 | 7 | 78868 | 18239 | -18738 | 20922 | 7806 | -8020 | 0.264 | 1234 | 195 | 0.158
7/18/2026 | 8 | 81516 | 15904 | -16832 | 19225 | 6807 | -7204 | 0.234 | 272 | 0 | 0
7/18/2026 | 9 | 84496 | 16340 | -17280 | 18211 | 6993 | -7396 | 0.213 | 16 | 0 | 0
7/18/2026 | 10 | 86540 | 15876 | -16977 | 17847 | 6795 | -7266 | 0.203 | 0 | 0 | 0
7/18/2026 | 11 | 89100 | 15680 | -16650 | 18237 | 6711 | -7126 | 0.202 | 0 | 0 | 0
7/18/2026 | 12 | 91429 | 15282 | -16199 | 18756 | 6541 | -6933 | 0.203 | 0 | 0 | 0
7/18/2026 | 13 | 94545 | 15792 | -16994 | 18412 | 6759 | -7274 | 0.192 | 0 | 0 | 0
7/18/2026 | 14 | 97999 | 17042 | -18340 | 18355 | 7294 | -7850 | 0.184 | 0 | 0 | 0
7/18/2026 | 15 | 103369 | 18817 | -20609 | 19060 | 8054 | -8821 | 0.18 | 134 | 0 | 0
7/18/2026 | 16 | 108094 | 18857 | -20954 | 19838 | 8070 | -8968 | 0.179 | 118 | 0 | 0
7/18/2026 | 17 | 111479 | 21081 | -22876 | 21338 | 9023 | -9791 | 0.188 | 0 | 0 | 0
7/18/2026 | 18 | 113993 | 22254 | -23679 | 22299 | 9525 | -10135 | 0.193 | 840 | 64 | 0.076
7/18/2026 | 19 | 114273 | 22169 | -22926 | 22862 | 9488 | -9812 | 0.199 | 1407 | 196 | 0.139
7/18/2026 | 20 | 112050 | 22533 | -22984 | 23356 | 9644 | -9837 | 0.208 | 1481 | 286 | 0.193
7/18/2026 | 21 | 108362 | 22627 | -22896 | 23563 | 9684 | -9800 | 0.217 | 1563 | 308 | 0.197
7/18/2026 | 22 | 104479 | 22415 | -22697 | 23724 | 9594 | -9714 | 0.227 | 2062 | 464 | 0.225
7/18/2026 | 23 | 98248 | 20210 | -20018 | 23814 | 8650 | -8567 | 0.243 | 1398 | 258 | 0.185
7/18/2026 | 24 | 91985 | 19408 | -18968 | 23829 | 8307 | -8118 | 0.26 | 1337 | 159 | 0.119
7/19/2026 | 1 | 86810 | 18252 | -17679 | 23522 | 7812 | -7567 | 0.272 | 1207 | 319 | 0.264
7/19/2026 | 2 | 82145 | 18020 | -17343 | 23303 | 7712 | -7423 | 0.285 | 1364 | 372 | 0.273
7/19/2026 | 3 | 78621 | 17714 | -17144 | 22834 | 7581 | -7338 | 0.291 | 1241 | 320 | 0.258
7/19/2026 | 4 | 76257 | 17317 | -16843 | 22238 | 7412 | -7209 | 0.292 | 1244 | 276 | 0.222
7/19/2026 | 5 | 75140 | 16919 | -16543 | 22078 | 7242 | -7080 | 0.295 | 1404 | 305 | 0.217
7/19/2026 | 6 | 74549 | 17247 | -16763 | 21772 | 7382 | -7174 | 0.293 | 1027 | 180 | 0.175
7/19/2026 | 7 | 74949 | 17943 | -17715 | 21378 | 7680 | -7582 | 0.286 | 1398 | 365 | 0.261
7/19/2026 | 8 | 77702 | 16600 | -16737 | 20049 | 7105 | -7163 | 0.258 | 988 | 225 | 0.228
7/19/2026 | 9 | 80710 | 16957 | -17140 | 20140 | 7258 | -7336 | 0.249 | 801 | 143 | 0.179
7/19/2026 | 10 | 83537 | 17084 | -17263 | 20024 | 7312 | -7388 | 0.239 | 906 | 226 | 0.249
7/19/2026 | 11 | 86671 | 15776 | -16275 | 20290 | 6752 | -6966 | 0.233 | 409 | 48 | 0.117
7/19/2026 | 12 | 90338 | 17313 | -17394 | 20814 | 7410 | -7445 | 0.23 | 293 | 18 | 0.061
7/19/2026 | 13 | 95268 | 17871 | -18162 | 21453 | 7648 | -7773 | 0.225 | 240 | 0 | 0
7/19/2026 | 14 | 100477 | 18428 | -18537 | 22276 | 7888 | -7934 | 0.221 | 175 | 1 | 0.006
7/19/2026 | 15 | 104929 | 18855 | -19396 | 22762 | 8070 | -8301 | 0.216 | 46 | 0 | 0
7/19/2026 | 16 | 110660 | 19849 | -20889 | 23466 | 8495 | -8940 | 0.21 | 212 | 0 | 0
7/19/2026 | 17 | 116339 | 20918 | -22002 | 24982 | 8953 | -9417 | 0.213 | 75 | 0 | 0
7/19/2026 | 18 | 120450 | 21334 | -22626 | 25762 | 9131 | -9684 | 0.212 | 797 | 23 | 0.029
7/19/2026 | 19 | 121794 | 23533 | -24650 | 26832 | 10072 | -10550 | 0.218 | 525 | 22 | 0.042
7/19/2026 | 20 | 118427 | 23122 | -23953 | 27216 | 9896 | -10252 | 0.228 | 544 | 13 | 0.024
7/19/2026 | 21 | 113695 | 22819 | -23283 | 27232 | 9767 | -9965 | 0.239 | 232 | 8 | 0.034
7/19/2026 | 22 | 109317 | 22972 | -23249 | 27439 | 9832 | -9951 | 0.251 | 2 | 0 | 0
7/19/2026 | 23 | 101728 | 19087 | -18779 | 27721 | 8169 | -8038 | 0.273 | 212 | 8 | 0.038
7/19/2026 | 24 | 93802 | 18569 | -18020 | 27699 | 7947 | -7713 | 0.296 | 497 | 39 | 0.078
7/20/2026 | 1 | 88700 | 17754 | -17033 | 27401 | 7598 | -7290 | 0.31 | 1178 | 148 | 0.126
7/20/2026 | 2 | 84670 | 17234 | -16387 | 26943 | 7376 | -7014 | 0.319 | 1004 | 142 | 0.141
7/20/2026 | 3 | 80875 | 14894 | -14319 | 26757 | 6374 | -6129 | 0.332 | 1073 | 252 | 0.235
7/20/2026 | 4 | 79020 | 15861 | -15160 | 26078 | 6788 | -6488 | 0.331 | 1066 | 205 | 0.192
7/20/2026 | 5 | 80115 | 16006 | -15588 | 26214 | 6851 | -6672 | 0.328 | 757 | 81 | 0.107
7/20/2026 | 6 | 82689 | 16134 | -16084 | 26308 | 6906 | -6884 | 0.318 | 1538 | 49 | 0.032
7/20/2026 | 7 | 86650 | 19462 | -19859 | 25962 | 8330 | -8500 | 0.299 | 1983 | 365 | 0.184
7/20/2026 | 8 | 91383 | 19406 | -20238 | 25314 | 8306 | -8662 | 0.276 | 1377 | 290 | 0.211
7/20/2026 | 9 | 93916 | 19782 | -20060 | 25366 | 8467 | -8586 | 0.27 | 976 | 242 | 0.248
7/20/2026 | 10 | 97240 | 19776 | -20434 | 25400 | 8464 | -8746 | 0.26 | 692 | 159 | 0.23
7/20/2026 | 11 | 100954 | 19934 | -20621 | 25190 | 8532 | -8826 | 0.248 | 223 | 39 | 0.175
7/20/2026 | 12 | 106222 | 19947 | -20835 | 25584 | 8537 | -8917 | 0.239 | 0 | 0 | 0
7/20/2026 | 13 | 111605 | 21426 | -22485 | 26707 | 9171 | -9624 | 0.237 | 0 | 0 | 0
7/20/2026 | 14 | 116631 | 22055 | -23382 | 27924 | 9440 | -10007 | 0.237 | 0 | 0 | 0
7/20/2026 | 15 | 121389 | 21937 | -23619 | 28591 | 9389 | -10109 | 0.233 | 0 | 0 | 0
7/20/2026 | 16 | 125491 | 22076 | -24063 | 29280 | 9449 | -10299 | 0.23 | 0 | 0 | 0
7/20/2026 | 17 | 127096 | 24406 | -26484 | 29819 | 10446 | -11335 | 0.231 | 3 | 0 | 0
7/20/2026 | 18 | 128740 | 25180 | -28123 | 30398 | 10777 | -12036 | 0.232 | 99 | 1 | 0.01
7/20/2026 | 19 | 128706 | 23435 | -25723 | 30622 | 10030 | -11009 | 0.234 | 146 | 4 | 0.027
7/20/2026 | 20 | 125901 | 23627 | -25425 | 31330 | 10112 | -10882 | 0.246 | 458 | 2 | 0.004
7/20/2026 | 21 | 121873 | 22744 | -24352 | 31964 | 9734 | -10423 | 0.26 | 613 | 28 | 0.046
7/20/2026 | 22 | 116418 | 22272 | -23912 | 31585 | 9532 | -10235 | 0.269 | 1084 | 105 | 0.097
7/20/2026 | 23 | 107762 | 17821 | -18802 | 30631 | 7627 | -8047 | 0.283 | 526 | 14 | 0.027
7/20/2026 | 24 | 99652 | 16918 | -17626 | 29468 | 7241 | -7544 | 0.295 | 398 | 0 | 0
7/21/2026 | 1 | 93602 | 16338 | -16756 | 29035 | 6993 | -7172 | 0.31 | 0 | 0 | 0
7/21/2026 | 2 | 88532 | 15829 | -16073 | 28585 | 6775 | -6879 | 0.323 | 0 | 0 | 0
7/21/2026 | 3 | 84972 | 15366 | -15694 | 27997 | 6576 | -6717 | 0.329 | 320 | 0 | 0
7/21/2026 | 4 | 82673 | 15322 | -15554 | 27706 | 6558 | -6657 | 0.335 | 368 | 9 | 0.024
7/21/2026 | 5 | 83022 | 15288 | -15997 | 27981 | 6543 | -6846 | 0.336 | 272 | 0 | 0
7/21/2026 | 6 | 84697 | 16771 | -17368 | 27995 | 7178 | -7434 | 0.33 | 399 | 12 | 0.03
7/21/2026 | 7 | 87794 | 19751 | -20159 | 27442 | 8454 | -8628 | 0.312 | 1177 | 241 | 0.205
7/21/2026 | 8 | 91822 | 20154 | -20713 | 27146 | 8626 | -8865 | 0.295 | 1840 | 548 | 0.298
7/21/2026 | 9 | 95826 | 20218 | -20596 | 26815 | 8653 | -8815 | 0.279 | 1220 | 327 | 0.268
7/21/2026 | 10 | 98264 | 20374 | -20742 | 26661 | 8720 | -8878 | 0.271 | 476 | 63 | 0.132
7/21/2026 | 11 | 101799 | 20043 | -20666 | 26433 | 8578 | -8845 | 0.259 | 183 | 6 | 0.033
7/21/2026 | 12 | 106912 | 20118 | -21036 | 26473 | 8611 | -9004 | 0.246 | 350 | 37 | 0.106
7/21/2026 | 13 | 112179 | 21036 | -22120 | 27376 | 9004 | -9468 | 0.242 | 35 | 0 | 0
7/21/2026 | 14 | 117437 | 22103 | -23124 | 28017 | 9460 | -9897 | 0.237 | 0 | 0 | 0
7/21/2026 | 15 | 122027 | 22461 | -23585 | 28290 | 9613 | -10094 | 0.23 | 0 | 0 | 0
7/21/2026 | 16 | 125722 | 23439 | -24559 | 28447 | 10032 | -10511 | 0.224 | 0 | 0 | 0
7/21/2026 | 17 | 128393 | 24388 | -25425 | 28530 | 10438 | -10882 | 0.221 | 160 | 0 | 0
7/21/2026 | 18 | 130871 | 24952 | -25926 | 29263 | 10680 | -11096 | 0.222 | 791 | 41 | 0.052
7/21/2026 | 19 | 131757 | 24737 | -25596 | 30069 | 10588 | -10955 | 0.227 | 1322 | 136 | 0.103
7/21/2026 | 20 | 129363 | 23733 | -24446 | 30960 | 10158 | -10463 | 0.238 | 2080 | 381 | 0.183
7/21/2026 | 21 | 124484 | 23929 | -24337 | 31277 | 10242 | -10416 | 0.251 | 1995 | 328 | 0.164
7/21/2026 | 22 | 119270 | 23552 | -23821 | 30876 | 10080 | -10196 | 0.258 | 2649 | 510 | 0.193
7/21/2026 | 23 | 111803 | 17772 | -18004 | 30634 | 7607 | -7706 | 0.274 | 1022 | 71 | 0.069
7/22/2026 | 1 | 95668 | 15448 | -15025 | 29320 | 6612 | -6431 | 0.307 | 108 | 0 | 0
7/22/2026 | 2 | 90612 | 16038 | -15524 | 28857 | 6864 | -6644 | 0.319 | 0 | 0 | 0
7/22/2026 | 3 | 86165 | 15635 | -15201 | 27866 | 6692 | -6506 | 0.324 | 8 | 0 | 0
7/22/2026 | 4 | 83822 | 15430 | -14844 | 27372 | 6604 | -6353 | 0.327 | 279 | 0 | 0
7/22/2026 | 5 | 83461 | 15126 | -14514 | 27303 | 6474 | -6212 | 0.328 | 6 | 0 | 0
7/22/2026 | 6 | 85353 | 15934 | -15382 | 27534 | 6820 | -6583 | 0.323 | 10 | 0 | 0
7/22/2026 | 7 | 88098 | 20873 | -20006 | 26893 | 8934 | -8562 | 0.306 | 450 | 18 | 0.04
7/22/2026 | 8 | 92045 | 20608 | -20121 | 25731 | 8820 | -8612 | 0.28 | 176 | 0 | 0
7/22/2026 | 9 | 95321 | 20441 | -20162 | 25410 | 8749 | -8630 | 0.267 | 503 | 67 | 0.133
7/22/2026 | 10 | 97821 | 21093 | -21026 | 24644 | 9028 | -8999 | 0.252 | 700 | 189 | 0.27
7/22/2026 | 11 | 101886 | 21926 | -22040 | 24926 | 9384 | -9433 | 0.244 | 224 | 6 | 0.027
7/22/2026 | 12 | 106468 | 22740 | -22754 | 25309 | 9733 | -9739 | 0.238 | 102 | 0 | 0
7/22/2026 | 13 | 111958 | 23940 | -24720 | 25474 | 10246 | -10580 | 0.226 | 2 | 0 | 0
7/22/2026 | 14 | 117390 | 24616 | -25737 | 25802 | 10536 | -11015 | 0.218 | 0 | 0 | 0
7/22/2026 | 15 | 122394 | 26182 | -27715 | 26698 | 11206 | -11862 | 0.215 | 0 | 0 | 0
7/22/2026 | 16 | 126531 | 27293 | -29076 | 27754 | 11682 | -12444 | 0.216 | 0 | 0 | 0
7/22/2026 | 17 | 129408 | 29449 | -31610 | 28354 | 12604 | -13529 | 0.216 | 2 | 0 | 0
7/22/2026 | 18 | 131254 | 29552 | -31750 | 29264 | 12648 | -13589 | 0.219 | 54 | 2 | 0.037
7/22/2026 | 19 | 131038 | 29574 | -31542 | 30465 | 12658 | -13500 | 0.23 | 250 | 5 | 0.02
7/22/2026 | 20 | 127156 | 28415 | -29989 | 30940 | 12162 | -12835 | 0.241 | 783 | 0 | 0
7/22/2026 | 21 | 122794 | 28714 | -30187 | 30369 | 12289 | -12920 | 0.245 | 293 | 0 | 0
7/22/2026 | 22 | 117928 | 28503 | -29646 | 29990 | 12199 | -12688 | 0.253 | 90 | 0 | 0
7/22/2026 | 23 | 109271 | 21550 | -22367 | 29547 | 9224 | -9573 | 0.269 | 149 | 0 | 0
7/22/2026 | 24 | 101058 | 19179 | -19508 | 28820 | 8209 | -8350 | 0.285 | 157 | 0 | 0
7/23/2026 | 1 | 94738 | 17412 | -17469 | 28073 | 7452 | -7477 | 0.296 | 477 | 0 | 0
7/23/2026 | 2 | 89645 | 17679 | -17753 | 27174 | 7566 | -7598 | 0.303 | 514 | 0 | 0
7/23/2026 | 3 | 86029 | 16992 | -17131 | 26804 | 7273 | -7332 | 0.311 | 363 | 0 | 0
7/23/2026 | 4 | 83746 | 16719 | -16834 | 26617 | 7156 | -7205 | 0.318 | 28 | 0 | 0
7/23/2026 | 5 | 82969 | 16694 | -16545 | 26488 | 7145 | -7081 | 0.319 | 3 | 0 | 0
7/23/2026 | 6 | 84339 | 18222 | -17877 | 26458 | 7799 | -7652 | 0.314 | 98 | 0 | 0
7/23/2026 | 7 | 87444 | 19534 | -19173 | 25103 | 8361 | -8206 | 0.288 | 558 | 2 | 0.004
7/23/2026 | 8 | 91899 | 18914 | -18901 | 22366 | 8095 | -8090 | 0.243 | 237 | 12 | 0.051
7/23/2026 | 9 | 95447 | 19314 | -19452 | 21330 | 8266 | -8326 | 0.223 | 0 | 0 | 0
7/23/2026 | 10 | 98738 | 19526 | -19964 | 20702 | 8357 | -8544 | 0.209 | 0 | 0 | 0
7/23/2026 | 11 | 102795 | 19216 | -19777 | 21508 | 8224 | -8464 | 0.208 | 0 | 0 | 0
7/23/2026 | 12 | 106533 | 18905 | -19648 | 21794 | 8091 | -8409 | 0.203 | 0 | 0 | 0
7/23/2026 | 13 | 112878 | 19197 | -20424 | 23184 | 8216 | -8742 | 0.203 | 0 | 0 | 0
7/23/2026 | 14 | 118405 | 19753 | -21250 | 24743 | 8454 | -9095 | 0.206 | 0 | 0 | 0
7/23/2026 | 15 | 123778 | 21025 | -22517 | 26294 | 8998 | -9637 | 0.21 | 0 | 0 | 0
7/23/2026 | 16 | 127632 | 22236 | -23675 | 27886 | 9517 | -10133 | 0.216 | 0 | 0 | 0
7/23/2026 | 17 | 131391 | 23913 | -25286 | 28694 | 10235 | -10822 | 0.216 | 108 | 0 | 0
7/23/2026 | 18 | 134637 | 26234 | -27602 | 29740 | 11228 | -11814 | 0.219 | 0 | 0 | 0
7/23/2026 | 19 | 134702 | 27845 | -29303 | 30585 | 11918 | -12542 | 0.225 | 7 | 0 | 0
7/23/2026 | 20 | 131691 | 29163 | -30443 | 31436 | 12482 | -13030 | 0.237 | 116 | 1 | 0.009
7/23/2026 | 21 | 126954 | 27726 | -28942 | 31772 | 11867 | -12387 | 0.249 | 0 | 0 | 0
7/23/2026 | 22 | 121470 | 26507 | -27219 | 31156 | 11345 | -11650 | 0.255 | 378 | 4 | 0.011
7/23/2026 | 23 | 112593 | 22184 | -22622 | 30732 | 9495 | -9682 | 0.272 | 0 | 0 | 0
7/23/2026 | 24 | 104089 | 20366 | -20536 | 30653 | 8717 | -8790 | 0.294 | 106 | 0 | 0
7/24/2026 | 1 | 97148 | 17596 | -17809 | 29352 | 7531 | -7622 | 0.302 | 991 | 206 | 0.208
7/24/2026 | 2 | 91994 | 16787 | -16842 | 28465 | 7185 | -7208 | 0.309 | 966 | 115 | 0.119
7/24/2026 | 3 | 88623 | 16171 | -16572 | 28248 | 6921 | -7093 | 0.318 | 768 | 55 | 0.072
7/24/2026 | 4 | 85615 | 16489 | -16655 | 28063 | 7057 | -7128 | 0.328 | 389 | 9 | 0.023
7/24/2026 | 5 | 84712 | 16746 | -16737 | 27656 | 7168 | -7164 | 0.326 | 778 | 139 | 0.179
7/24/2026 | 6 | 86135 | 16987 | -17135 | 27555 | 7270 | -7334 | 0.32 | 1014 | 153 | 0.151
7/24/2026 | 7 | 88554 | 19105 | -19154 | 26589 | 8177 | -8198 | 0.3 | 2227 | 730 | 0.328
7/24/2026 | 8 | 93278 | 18799 | -18893 | 24567 | 8046 | -8087 | 0.263 | 1247 | 364 | 0.292
7/24/2026 | 9 | 97349 | 18390 | -18719 | 24210 | 7871 | -8012 | 0.248 | 758 | 160 | 0.211
7/24/2026 | 10 | 101171 | 18784 | -19460 | 24323 | 8040 | -8328 | 0.239 | 231 | 56 | 0.242
7/24/2026 | 11 | 105274 | 19842 | -20347 | 24690 | 8492 | -8708 | 0.234 | 110 | 0 | 0
7/24/2026 | 12 | 110037 | 19953 | -20522 | 25271 | 8540 | -8783 | 0.229 | 5 | 0 | 0
7/24/2026 | 13 | 115907 | 20818 | -21761 | 25829 | 8910 | -9314 | 0.221 | 0 | 0 | 0
7/24/2026 | 14 | 121714 | 22232 | -23591 | 27372 | 9516 | -10097 | 0.223 | 0 | 0 | 0
7/24/2026 | 15 | 126754 | 24042 | -25819 | 28286 | 10290 | -11051 | 0.22 | 0 | 0 | 0
7/24/2026 | 16 | 131169 | 24777 | -26861 | 28849 | 10605 | -11496 | 0.217 | 0 | 0 | 0
7/24/2026 | 17 | 134367 | 26840 | -28976 | 29628 | 11487 | -12402 | 0.217 | 0 | 0 | 0
7/24/2026 | 18 | 136495 | 28918 | -30858 | 31072 | 12377 | -13207 | 0.225 | 0 | 0 | 0
7/24/2026 | 19 | 135008 | 26176 | -27035 | 32478 | 11203 | -11571 | 0.239 | 0 | 0 | 0
7/24/2026 | 20 | 131929 | 29398 | -30795 | 34053 | 12583 | -13180 | 0.256 | 465 | 8 | 0.017
7/24/2026 | 21 | 125018 | 28437 | -29018 | 33757 | 12171 | -12420 | 0.269 | 69 | 0 | 0
7/24/2026 | 22 | 118183 | 27771 | -27624 | 33032 | 11886 | -11823 | 0.28 | 77 | 0 | 0
7/24/2026 | 23 | 110611 | 22955 | -22642 | 31578 | 9825 | -9691 | 0.286 | 334 | 0 | 0
7/24/2026 | 24 | 102945 | 20632 | -20009 | 30881 | 8830 | -8564 | 0.301 | 182 | 7 | 0.038
7/25/2026 | 1 | 97098 | 18747 | -18413 | 30253 | 8024 | -7881 | 0.312 | 426 | 14 | 0.033
7/25/2026 | 2 | 90993 | 17908 | -17399 | 28952 | 7665 | -7446 | 0.319 | 389 | 22 | 0.057
7/25/2026 | 3 | 86283 | 16766 | -16104 | 28079 | 7176 | -6892 | 0.326 | 343 | 24 | 0.07
7/25/2026 | 4 | 83331 | 16248 | -15777 | 27449 | 6954 | -6752 | 0.33 | 305 | 21 | 0.069
7/25/2026 | 5 | 81789 | 15455 | -15139 | 27178 | 6615 | -6479 | 0.333 | 326 | 11 | 0.034
7/25/2026 | 6 | 81440 | 16556 | -16270 | 27105 | 7086 | -6964 | 0.333 | 420 | 33 | 0.079
7/25/2026 | 7 | 82104 | 19862 | -20149 | 25290 | 8501 | -8624 | 0.308 | 1232 | 314 | 0.255
7/25/2026 | 8 | 85301 | 19230 | -19571 | 22213 | 8230 | -8376 | 0.26 | 662 | 106 | 0.16
7/25/2026 | 9 | 89036 | 18318 | -18413 | 21673 | 7840 | -7880 | 0.243 | 306 | 22 | 0.072
7/25/2026 | 10 | 93363 | 18350 | -18983 | 21740 | 7854 | -8125 | 0.232 | 10 | 0 | 0
7/25/2026 | 11 | 97674 | 18164 | -19030 | 22259 | 7774 | -8145 | 0.226 | 0 | 0 | 0
7/25/2026 | 12 | 102341 | 19135 | -20018 | 23168 | 8190 | -8568 | 0.225 | 0 | 0 | 0
7/25/2026 | 13 | 107325 | 20747 | -22165 | 23532 | 8880 | -9487 | 0.216 | 0 | 0 | 0
7/25/2026 | 14 | 112020 | 21159 | -22959 | 24037 | 9056 | -9827 | 0.211 | 0 | 0 | 0
7/25/2026 | 15 | 116091 | 23780 | -25863 | 24241 | 10178 | -11069 | 0.205 | 610 | 0 | 0
7/25/2026 | 16 | 120055 | 24412 | -26706 | 24660 | 10448 | -11430 | 0.201 | 644 | 0 | 0
7/25/2026 | 17 | 122688 | 26691 | -28885 | 25105 | 11424 | -12363 | 0.201 | 953 | 0 | 0
7/25/2026 | 18 | 123981 | 28214 | -30343 | 26379 | 12076 | -12987 | 0.209 | 2298 | 409 | 0.178
7/25/2026 | 19 | 123398 | 29040 | -30640 | 27190 | 12429 | -13114 | 0.218 | 1192 | 184 | 0.154
7/25/2026 | 20 | 119847 | 28915 | -29549 | 28110 | 12376 | -12647 | 0.234 | 462 | 33 | 0.071
7/25/2026 | 21 | 114802 | 28968 | -29006 | 27502 | 12398 | -12414 | 0.24 | 780 | 32 | 0.041
7/25/2026 | 22 | 109915 | 28679 | -28339 | 27344 | 12274 | -12129 | 0.249 | 13 | 0 | 0
7/25/2026 | 23 | 102868 | 23066 | -22124 | 27018 | 9872 | -9469 | 0.264 | 0 | 0 | 0
7/25/2026 | 24 | 95985 | 21572 | -20377 | 27173 | 9233 | -8721 | 0.285 | 119 | 0 | 0
7/26/2026 | 1 | 90755 | 19488 | -18576 | 26175 | 8341 | -7950 | 0.29 | 619 | 91 | 0.147
7/26/2026 | 2 | 86256 | 18512 | -17711 | 25279 | 7923 | -7580 | 0.294 | 795 | 220 | 0.277
7/26/2026 | 3 | 82861 | 18403 | -17800 | 24813 | 7876 | -7618 | 0.3 | 498 | 106 | 0.213
7/26/2026 | 4 | 80232 | 18996 | -18279 | 24341 | 8130 | -7824 | 0.304 | 323 | 24 | 0.074
7/26/2026 | 5 | 78469 | 19162 | -18430 | 24039 | 8202 | -7888 | 0.307 | 293 | 0 | 0
7/26/2026 | 6 | 77815 | 18833 | -18106 | 23906 | 8061 | -7749 | 0.308 | 251 | 0 | 0
7/26/2026 | 7 | 77994 | 20089 | -19163 | 22596 | 8598 | -8202 | 0.291 | 313 | 1 | 0.003
7/26/2026 | 8 | 80590 | 16426 | -15877 | 21654 | 7031 | -6795 | 0.27 | 758 | 165 | 0.218
7/26/2026 | 9 | 84027 | 18386 | -17903 | 20389 | 7869 | -7663 | 0.244 | 541 | 79 | 0.146
7/26/2026 | 10 | 87493 | 18588 | -18257 | 20486 | 7955 | -7814 | 0.235 | 225 | 4 | 0.018
7/26/2026 | 11 | 92040 | 18866 | -18686 | 21512 | 8075 | -7998 | 0.234 | 528 | 108 | 0.205
7/26/2026 | 12 | 96361 | 19252 | -19354 | 21979 | 8240 | -8283 | 0.228 | 132 | 0 | 0
7/26/2026 | 13 | 101248 | 20016 | -20457 | 22477 | 8567 | -8756 | 0.221 | 129 | 0 | 0
7/26/2026 | 14 | 106488 | 20287 | -21315 | 23486 | 8683 | -9123 | 0.219 | 62 | 0 | 0
7/26/2026 | 15 | 110976 | 20454 | -21786 | 24492 | 8754 | -9324 | 0.218 | 122 | 0 | 0
7/26/2026 | 16 | 115389 | 21416 | -22985 | 25585 | 9166 | -9838 | 0.219 | 7 | 0 | 0
7/26/2026 | 17 | 119612 | 24152 | -25877 | 26092 | 10337 | -11076 | 0.215 | 58 | 0 | 0
7/26/2026 | 18 | 123958 | 24943 | -26885 | 27036 | 10676 | -11507 | 0.215 | 146 | 7 | 0.048
7/26/2026 | 19 | 124450 | 28302 | -29669 | 27487 | 12114 | -12698 | 0.219 | 434 | 17 | 0.039
7/26/2026 | 20 | 121604 | 27971 | -28969 | 27805 | 11972 | -12398 | 0.227 | 701 | 51 | 0.073
7/26/2026 | 21 | 117223 | 27878 | -28499 | 27665 | 11932 | -12198 | 0.235 | 235 | 8 | 0.034
7/26/2026 | 22 | 112181 | 25939 | -25937 | 27796 | 11102 | -11102 | 0.248 | 0 | 0 | 0
7/26/2026 | 23 | 104748 | 20211 | -20303 | 27927 | 8650 | -8690 | 0.266 | 63 | 2 | 0.032
7/26/2026 | 24 | 97283 | 18994 | -18985 | 27693 | 8129 | -8126 | 0.285 | 580 | 0 | 0
7/27/2026 | 1 | 91919 | 19331 | -19093 | 27112 | 8274 | -8172 | 0.295 | 43 | 1 | 0.023
7/27/2026 | 2 | 87562 | 19073 | -18714 | 26677 | 8163 | -8009 | 0.305 | 0 | 0 | 0
7/27/2026 | 3 | 84168 | 18754 | -18480 | 26475 | 8027 | -7909 | 0.315 | 251 | 14 | 0.056
7/27/2026 | 4 | 81958 | 18787 | -18440 | 26247 | 8041 | -7892 | 0.321 | 234 | 12 | 0.051
7/27/2026 | 5 | 82257 | 18433 | -18123 | 26221 | 7889 | -7756 | 0.319 | 201 | 0 | 0
7/27/2026 | 6 | 84468 | 18044 | -17794 | 26538 | 7723 | -7615 | 0.315 | 181 | 0 | 0
7/27/2026 | 7 | 87323 | 22268 | -21870 | 25826 | 9531 | -9361 | 0.296 | 251 | 12 | 0.048
7/27/2026 | 8 | 91648 | 22245 | -22103 | 24100 | 9521 | -9460 | 0.263 | 133 | 0 | 0
7/27/2026 | 9 | 94858 | 21359 | -21486 | 23360 | 9141 | -9196 | 0.246 | 33 | 0 | 0
7/27/2026 | 10 | 97460 | 21016 | -21302 | 23269 | 8995 | -9117 | 0.238 | 10 | 0 | 0
7/27/2026 | 11 | 101398 | 21497 | -22195 | 24315 | 9201 | -9500 | 0.238 | 1 | 0 | 0
7/27/2026 | 12 | 105887 | 21813 | -22689 | 24581 | 9336 | -9711 | 0.231 | 0 | 0 | 0
7/27/2026 | 13 | 111338 | 23353 | -24796 | 24964 | 9995 | -10612 | 0.222 | 0 | 0 | 0
7/27/2026 | 14 | 116728 | 23831 | -25640 | 25833 | 10200 | -10974 | 0.218 | 0 | 0 | 0
7/27/2026 | 15 | 120874 | 25274 | -27207 | 25776 | 10818 | -11645 | 0.21 | 0 | 0 | 0
7/27/2026 | 16 | 125475 | 26282 | -28679 | 26335 | 11248 | -12275 | 0.206 | 0 | 0 | 0
7/27/2026 | 17 | 128785 | 29307 | -31556 | 26607 | 12543 | -13506 | 0.203 | 0 | 0 | 0
7/27/2026 | 18 | 131830 | 30187 | -32076 | 27802 | 12920 | -13728 | 0.208 | 0 | 0 | 0
7/27/2026 | 19 | 131686 | 31964 | -33542 | 29059 | 13680 | -14356 | 0.218 | 9 | 0 | 0
7/27/2026 | 20 | 128170 | 31588 | -32954 | 30577 | 13520 | -14104 | 0.237 | 789 | 81 | 0.103
7/27/2026 | 21 | 122705 | 31298 | -32128 | 30487 | 13396 | -13751 | 0.247 | 1131 | 106 | 0.094
7/27/2026 | 22 | 116801 | 29958 | -30624 | 29812 | 12822 | -13107 | 0.254 | 1409 | 157 | 0.111
7/27/2026 | 23 | 108526 | 22319 | -22868 | 29122 | 9552 | -9787 | 0.268 | 224 | 5 | 0.022
7/27/2026 | 24 | 100061 | 19022 | -19291 | 28922 | 8141 | -8257 | 0.289 | 475 | 0 | 0
7/28/2026 | 1 | 93925 | 18095 | -18064 | 27944 | 7745 | -7731 | 0.298 | 135 | 0 | 0
7/28/2026 | 2 | 89118 | 18825 | -18651 | 27056 | 8057 | -7983 | 0.304 | 120 | 0 | 0
7/28/2026 | 3 | 85132 | 17954 | -17743 | 26007 | 7684 | -7594 | 0.306 | 401 | 0 | 0
7/28/2026 | 4 | 83028 | 18037 | -17945 | 25613 | 7720 | -7680 | 0.309 | 430 | 0 | 0
7/28/2026 | 5 | 83114 | 18284 | -18328 | 25870 | 7825 | -7844 | 0.311 | 487 | 2 | 0.004
7/28/2026 | 6 | 84996 | 17716 | -17881 | 26229 | 7582 | -7653 | 0.308 | 556 | 3 | 0.005
7/28/2026 | 7 | 87404 | 21605 | -21619 | 25388 | 9247 | -9253 | 0.29 | 715 | 4 | 0.006
7/28/2026 | 8 | 90480 | 20732 | -21288 | 23328 | 8873 | -9111 | 0.257 | 686 | 32 | 0.047
7/28/2026 | 9 | 93058 | 20981 | -21695 | 22558 | 8980 | -9285 | 0.241 | 548 | 0 | 0
7/28/2026 | 10 | 95393 | 20448 | -21533 | 22161 | 8752 | -9216 | 0.23 | 91 | 0 | 0
7/28/2026 | 11 | 98277 | 20814 | -22159 | 22188 | 8908 | -9484 | 0.223 | 264 | 0 | 0
7/28/2026 | 12 | 102122 | 21101 | -22873 | 22237 | 9031 | -9790 | 0.214 | 116 | 0 | 0
7/28/2026 | 13 | 106735 | 21999 | -24081 | 22236 | 9416 | -10307 | 0.204 | 0 | 0 | 0
7/28/2026 | 14 | 112479 | 22611 | -25004 | 22652 | 9678 | -10702 | 0.196 | 0 | 0 | 0
7/28/2026 | 15 | 117730 | 23490 | -26324 | 23694 | 10054 | -11267 | 0.196 | 0 | 0 | 0
7/28/2026 | 16 | 122342 | 23886 | -26486 | 24941 | 10223 | -11336 | 0.199 | 0 | 0 | 0
7/28/2026 | 17 | 125335 | 28102 | -30300 | 25643 | 12027 | -12969 | 0.201 | 0 | 0 | 0
7/28/2026 | 18 | 128655 | 28442 | -30479 | 27108 | 12173 | -13045 | 0.207 | 2 | 0 | 0
7/28/2026 | 19 | 129140 | 30269 | -32189 | 28214 | 12955 | -13777 | 0.215 | 37 | 0 | 0
7/28/2026 | 20 | 125405 | 31097 | -32481 | 29222 | 13310 | -13902 | 0.231 | 618 | 40 | 0.065
7/28/2026 | 21 | 120175 | 29623 | -30691 | 28827 | 12679 | -13136 | 0.238 | 1008 | 34 | 0.034
7/28/2026 | 22 | 114226 | 28436 | -29094 | 28461 | 12171 | -12452 | 0.248 | 1386 | 67 | 0.048
7/28/2026 | 23 | 105512 | 22348 | -22385 | 27530 | 9565 | -9581 | 0.261 | 705 | 25 | 0.035
7/28/2026 | 24 | 98073 | 21050 | -20709 | 26516 | 9009 | -8863 | 0.271 | 723 | 8 | 0.011
7/29/2026 | 1 | 92940 | 18175 | -18328 | 26157 | 7779 | -7844 | 0.281 | 491 | 0 | 0
7/29/2026 | 2 | 87700 | 16677 | -16605 | 26174 | 7138 | -7107 | 0.299 | 503 | 0 | 0
7/29/2026 | 3 | 83812 | 16387 | -16352 | 25378 | 7014 | -6998 | 0.303 | 642 | 0 | 0
7/29/2026 | 4 | 81424 | 16685 | -16592 | 25748 | 7141 | -7102 | 0.316 | 614 | 0 | 0
7/29/2026 | 5 | 81487 | 16069 | -16035 | 25874 | 6877 | -6863 | 0.318 | 434 | 0 | 0
7/29/2026 | 6 | 83606 | 15891 | -15908 | 26172 | 6801 | -6809 | 0.313 | 0 | 0 | 0
7/29/2026 | 7 | 86967 | 19385 | -19742 | 25906 | 8297 | -8450 | 0.297 | 226 | 0 | 0
7/29/2026 | 8 | 89942 | 19052 | -19156 | 24474 | 8154 | -8199 | 0.272 | 0 | 0 | 0
7/29/2026 | 9 | 92425 | 18789 | -19184 | 23605 | 8042 | -8211 | 0.255 | 0 | 0 | 0
7/29/2026 | 10 | 94343 | 18264 | -18757 | 23326 | 7817 | -8028 | 0.246 | 0 | 0 | 0
7/29/2026 | 11 | 97674 | 18897 | -19741 | 23219 | 8088 | -8449 | 0.236 | 0 | 0 | 0
7/29/2026 | 12 | 102050 | 19234 | -20602 | 23395 | 8232 | -8818 | 0.227 | 0 | 0 | 0
7/29/2026 | 13 | 107323 | 20611 | -22962 | 23868 | 8822 | -9828 | 0.218 | 0 | 0 | 0
7/29/2026 | 14 | 112645 | 21231 | -23679 | 24495 | 9087 | -10134 | 0.213 | 0 | 0 | 0
7/29/2026 | 15 | 117967 | 22372 | -24879 | 25214 | 9576 | -10648 | 0.209 | 0 | 0 | 0
7/29/2026 | 16 | 123084 | 23723 | -26174 | 26163 | 10153 | -11202 | 0.208 | 0 | 0 | 0
7/29/2026 | 17 | 126524 | 25627 | -28046 | 27344 | 10968 | -12003 | 0.212 | 14 | 0 | 0
7/29/2026 | 18 | 129339 | 25559 | -27563 | 28496 | 10939 | -11797 | 0.217 | 1005 | 27 | 0.027
7/29/2026 | 19 | 128846 | 27872 | -29227 | 29688 | 11930 | -12509 | 0.228 | 740 | 4 | 0.005
7/29/2026 | 20 | 125075 | 28147 | -29316 | 30903 | 12047 | -12547 | 0.245 | 848 | 16 | 0.019
7/29/2026 | 21 | 121228 | 26353 | -27986 | 30536 | 11279 | -11978 | 0.249 | 900 | 1 | 0.001
7/29/2026 | 22 | 115061 | 25672 | -26910 | 29839 | 10988 | -11517 | 0.258 | 921 | 12 | 0.013
7/29/2026 | 23 | 106078 | 20290 | -20648 | 29508 | 8684 | -8837 | 0.278 | 244 | 0 | 0
7/29/2026 | 24 | 97995 | 17300 | -17202 | 28979 | 7404 | -7363 | 0.296 | 206 | 9 | 0.044
7/30/2026 | 1 | 91982 | 16910 | -16762 | 27747 | 7237 | -7174 | 0.302 | 199 | 9 | 0.045
7/30/2026 | 2 | 87252 | 16446 | -16421 | 26914 | 7039 | -7028 | 0.309 | 283 | 0 | 0
7/30/2026 | 3 | 83315 | 16377 | -16310 | 25735 | 7009 | -6981 | 0.309 | 682 | 59 | 0.087
7/30/2026 | 4 | 81088 | 15969 | -15921 | 25089 | 6835 | -6814 | 0.309 | 1077 | 213 | 0.198
7/30/2026 | 5 | 80761 | 16344 | -16147 | 24571 | 6995 | -6911 | 0.305 | 1098 | 211 | 0.192
7/30/2026 | 6 | 82599 | 16779 | -16592 | 24810 | 7181 | -7101 | 0.301 | 914 | 142 | 0.155
7/30/2026 | 7 | 85487 | 21117 | -21032 | 23896 | 9038 | -9002 | 0.28 | 1931 | 463 | 0.24
7/30/2026 | 8 | 89065 | 20723 | -20868 | 21356 | 8869 | -8931 | 0.239 | 782 | 157 | 0.201
7/30/2026 | 9 | 92253 | 19432 | -19942 | 20669 | 8317 | -8535 | 0.223 | 150 | 1 | 0.007
7/30/2026 | 10 | 94730 | 19259 | -19541 | 20651 | 8243 | -8364 | 0.217 | 113 | 0 | 0
7/30/2026 | 11 | 98840 | 18643 | -19590 | 21206 | 7980 | -8385 | 0.212 | 360 | 0 | 0
7/30/2026 | 12 | 103243 | 18908 | -19840 | 22142 | 8092 | -8492 | 0.213 | 302 | 0 | 0
7/30/2026 | 13 | 108564 | 19517 | -20624 | 22783 | 8353 | -8827 | 0.208 | 131 | 0 | 0
7/30/2026 | 14 | 114910 | 19982 | -21626 | 23993 | 8553 | -9256 | 0.206 | 0 | 0 | 0
7/30/2026 | 15 | 120595 | 21310 | -23029 | 25198 | 9121 | -9856 | 0.206 | 6 | 0 | 0
7/30/2026 | 16 | 125359 | 23664 | -25178 | 26864 | 10128 | -10776 | 0.212 | 0 | 0 | 0
7/30/2026 | 17 | 128592 | 25618 | -27030 | 27862 | 10964 | -11569 | 0.214 | 0 | 0 | 0
7/30/2026 | 18 | 131163 | 26124 | -27630 | 28858 | 11181 | -11826 | 0.218 | 7 | 0 | 0
7/30/2026 | 19 | 131617 | 28336 | -29442 | 29789 | 12128 | -12601 | 0.225 | 20 | 0 | 0
7/30/2026 | 20 | 128181 | 27961 | -28813 | 30665 | 11967 | -12332 | 0.238 | 692 | 27 | 0.039
7/30/2026 | 21 | 122356 | 27486 | -28254 | 30412 | 11764 | -12093 | 0.247 | 737 | 14 | 0.019
7/30/2026 | 22 | 115976 | 26020 | -26436 | 30099 | 11136 | -11315 | 0.259 | 312 | 1 | 0.003
7/30/2026 | 23 | 107434 | 20592 | -20745 | 29824 | 8814 | -8879 | 0.277 | 0 | 0 | 0
7/30/2026 | 24 | 99205 | 18291 | -18141 | 29039 | 7828 | -7764 | 0.293 | 138 | 15 | 0.109
7/31/2026 | 1 | 93141 | 16941 | -16746 | 28479 | 7251 | -7167 | 0.306 | 435 | 17 | 0.039
7/31/2026 | 2 | 88081 | 16833 | -16562 | 27514 | 7205 | -7088 | 0.313 | 551 | 0 | 0
7/31/2026 | 3 | 83643 | 16750 | -16481 | 26179 | 7169 | -7054 | 0.313 | 466 | 0 | 0
7/31/2026 | 4 | 81511 | 16163 | -15964 | 25929 | 6918 | -6833 | 0.318 | 463 | 0 | 0
7/31/2026 | 5 | 81368 | 15639 | -15608 | 26466 | 6693 | -6680 | 0.325 | 499 | 0 | 0
7/31/2026 | 6 | 83028 | 15783 | -15859 | 27078 | 6755 | -6788 | 0.326 | 140 | 0 | 0
7/31/2026 | 7 | 84468 | 18967 | -18367 | 25755 | 8118 | -7861 | 0.306 | 1013 | 115 | 0.114
7/31/2026 | 8 | 88522 | 18393 | -18127 | 23407 | 7872 | -7759 | 0.265 | 724 | 50 | 0.069
7/31/2026 | 9 | 92303 | 17903 | -18017 | 23244 | 7663 | -7711 | 0.252 | 478 | 12 | 0.025
7/31/2026 | 10 | 95459 | 17502 | -17904 | 23303 | 7491 | -7663 | 0.243 | 142 | 0 | 0
7/31/2026 | 11 | 99775 | 18542 | -19097 | 24195 | 7936 | -8174 | 0.241 | 101 | 0 | 0
7/31/2026 | 12 | 104616 | 18596 | -19383 | 25192 | 7959 | -8296 | 0.239 | 0 | 0 | 0
7/31/2026 | 13 | 110801 | 20467 | -21652 | 26039 | 8760 | -9267 | 0.233 | 0 | 0 | 0
7/31/2026 | 14 | 117160 | 20898 | -22195 | 27132 | 8944 | -9499 | 0.229 | 0 | 0 | 0
7/31/2026 | 15 | 123591 | 22077 | -23125 | 27974 | 9449 | -9897 | 0.225 | 562 | 0 | 0
7/31/2026 | 16 | 128584 | 24328 | -25305 | 29391 | 10412 | -10830 | 0.227 | 353 | 15 | 0.042
7/31/2026 | 17 | 132785 | 27471 | -29093 | 30408 | 11758 | -12452 | 0.227 | 1055 | 240 | 0.227
7/31/2026 | 18 | 135989 | 27050 | -29014 | 31034 | 11578 | -12418 | 0.225 | 812 | 61 | 0.075
7/31/2026 | 19 | 136060 | 27881 | -30032 | 31909 | 11933 | -12854 | 0.231 | 675 | 15 | 0.022
7/31/2026 | 20 | 132540 | 29385 | -31448 | 32555 | 12577 | -13460 | 0.243 | 1187 | 158 | 0.133
7/31/2026 | 21 | 125732 | 27933 | -29780 | 31814 | 11956 | -12746 | 0.25 | 599 | 4 | 0.007
7/31/2026 | 22 | 119086 | 25774 | -27094 | 31046 | 11031 | -11596 | 0.259 | 876 | 41 | 0.047
7/31/2026 | 23 | 110243 | 19623 | -20274 | 30420 | 8399 | -8677 | 0.275 | 404 | 0 | 0
7/31/2026 | 24 | 102285 | 19007 | -19451 | 29717 | 8135 | -8325 | 0.29 | 549 | 1 | 0.002