## KEY
Average Emissions Rate Calculation
Background:
The CAISO is publishing this metric of an average emissions rate (AER) based on the discussion in the GHG working groups. CAISO discussed the metric at the November 27, 2023 GHG Coordination Working Group. A brief explanation of the methodology is included below:
Methodology:
1) Which resources are reflected in this example AER metric (all schedules are from the 5-minute market)
- All supply resources are included
- All demand response resources are excluded
- All energy storage resources are included (emissions rate used is 0 MTCO2e/MWh)
- Resources that were attributed to serve California are included
2) The AER measures all schedules ie. The total dispatach of the resources and not relative to WEIM base schedule
3) Bilateral transactions are included (emissions rate used is 0.428 MTCO2e/MWh) unless they are resource specific.
4) CAISO filled in missing heat rate and emissions rate data by using wtd averages from existing data
Key
TRADE_DT | Trade date of the reported data in MM/DD/YYYY format
TRADE_HR | Trade hour of the reported data. Data is reported as the "hour-ending", e.g. TRADE_HR = 2 is for the hour-ending 1:59:59AM Pacific time
GEN_MWH | MWh of electricity generation in the WEIM area* (including CAISO)
IMP_MWH | MWh of electricity imports into the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
EXP_MWH | MWh of electricity exports from the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
GEN_GHG | Greenhouse gas emissions in MTCO2e of electricity generation in the WEIM area
IMP_GHG | Greenhouse gas emissions in MTCO2e of electricity imports into the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
EXP_GHG | Greenhouse gas emissions in MTCO2e of electricity exports from the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
AVG_EM_RATE | Average emissions rate calculated as columns G through I divided by columns C through E
ATTR_MWH | MWh of WEIM transfers into California which, by definition, is equal to the sum of the GHG attributions
ATTR_GHG | Greenhouse gas emissions in MTCO2e of WEIM transfers into California (resource-specific)
ATTR_AVG_EM_RATE | Average emissions rate of WEIM transfers into California
CAISO PUBLIC

## AER_SUMMARY
TRADE_DT | TRADE_HR | GEN_MWH | IMP_MWH | EXP_MWH | GEN_GHG | IMP_GHG | EXP_GHG | AVG_EM_RATE | ATTR_MWH | ATTR_GHG | ATTR_AVG_EM_RATE
6/1/2025 | 1 | 76978 | 14992 | -13944 | 18140 | 6417 | -5968 | 0.238 | 1087 | 300 | 0.276
6/1/2025 | 2 | 72961 | 14785 | -13586 | 17505 | 6328 | -5815 | 0.243 | 888 | 208 | 0.234
6/1/2025 | 3 | 70129 | 14466 | -13288 | 16994 | 6191 | -5688 | 0.245 | 736 | 104 | 0.141
6/1/2025 | 4 | 67919 | 14554 | -13039 | 16853 | 6229 | -5581 | 0.252 | 642 | 78 | 0.121
6/1/2025 | 5 | 66926 | 14746 | -12969 | 16992 | 6311 | -5551 | 0.258 | 679 | 102 | 0.15
6/1/2025 | 6 | 66101 | 14683 | -12716 | 16115 | 6284 | -5442 | 0.249 | 734 | 126 | 0.172
6/1/2025 | 7 | 66539 | 15106 | -13551 | 14151 | 6466 | -5799 | 0.218 | 1477 | 373 | 0.253
6/1/2025 | 8 | 69130 | 12507 | -11771 | 12858 | 5353 | -5038 | 0.189 | 463 | 48 | 0.104
6/1/2025 | 9 | 71597 | 12292 | -11431 | 12714 | 5261 | -4892 | 0.181 | 0 | 0 | 0
6/1/2025 | 10 | 73674 | 12538 | -11713 | 12947 | 5366 | -5013 | 0.179 | 0 | 0 | 0
6/1/2025 | 11 | 74688 | 12998 | -12022 | 13360 | 5563 | -5145 | 0.182 | 7 | 0 | 0
6/1/2025 | 12 | 76367 | 13189 | -12031 | 13675 | 5645 | -5149 | 0.183 | 349 | 0 | 0
6/1/2025 | 13 | 78602 | 13298 | -12429 | 14499 | 5692 | -5320 | 0.187 | 123 | 0 | 0
6/1/2025 | 14 | 81919 | 13243 | -12413 | 15322 | 5668 | -5313 | 0.189 | 124 | 0 | 0
6/1/2025 | 15 | 85592 | 13214 | -12892 | 15999 | 5656 | -5518 | 0.188 | 274 | 0 | 0
6/1/2025 | 16 | 86552 | 12881 | -12906 | 16502 | 5513 | -5524 | 0.191 | 190 | 0 | 0
6/1/2025 | 17 | 87664 | 13908 | -13807 | 16619 | 5953 | -5910 | 0.19 | 411 | 0 | 0
6/1/2025 | 18 | 90170 | 14719 | -14919 | 17370 | 6300 | -6385 | 0.192 | 652 | 95 | 0.146
6/1/2025 | 19 | 91406 | 14974 | -15202 | 18239 | 6409 | -6506 | 0.199 | 1294 | 270 | 0.209
6/1/2025 | 20 | 89942 | 15778 | -15753 | 18094 | 6753 | -6743 | 0.201 | 1641 | 438 | 0.267
6/1/2025 | 21 | 88543 | 16009 | -15649 | 17799 | 6852 | -6698 | 0.202 | 1951 | 466 | 0.239
6/1/2025 | 22 | 85958 | 15251 | -15139 | 17687 | 6528 | -6479 | 0.206 | 2021 | 543 | 0.269
6/1/2025 | 23 | 79972 | 13488 | -12839 | 17263 | 5773 | -5495 | 0.218 | 1642 | 420 | 0.256
6/1/2025 | 24 | 73386 | 14012 | -12535 | 16736 | 5997 | -5365 | 0.232 | 1612 | 430 | 0.267
6/2/2025 | 1 | 69362 | 13640 | -12099 | 16369 | 5838 | -5179 | 0.24 | 737 | 82 | 0.111
6/2/2025 | 2 | 66059 | 13750 | -11910 | 15712 | 5885 | -5097 | 0.243 | 893 | 208 | 0.233
6/2/2025 | 3 | 64075 | 13600 | -11684 | 15475 | 5821 | -5001 | 0.247 | 628 | 128 | 0.204
6/2/2025 | 4 | 63235 | 13812 | -11819 | 15797 | 5912 | -5059 | 0.255 | 613 | 132 | 0.215
6/2/2025 | 5 | 63808 | 13898 | -11683 | 16142 | 5948 | -5001 | 0.259 | 561 | 121 | 0.216
6/2/2025 | 6 | 67299 | 13336 | -11200 | 16668 | 5708 | -4794 | 0.253 | 1299 | 298 | 0.229
6/2/2025 | 7 | 71792 | 14497 | -12387 | 16696 | 6205 | -5301 | 0.238 | 1219 | 242 | 0.199
6/2/2025 | 8 | 75208 | 13134 | -11577 | 14758 | 5621 | -4955 | 0.201 | 110 | 1 | 0.009
6/2/2025 | 9 | 76503 | 12473 | -11738 | 13703 | 5338 | -5024 | 0.181 | 0 | 0 | 0
6/2/2025 | 10 | 76894 | 12181 | -11543 | 13044 | 5213 | -4940 | 0.172 | 0 | 0 | 0
6/2/2025 | 11 | 77035 | 11968 | -11487 | 12584 | 5122 | -4916 | 0.165 | 0 | 0 | 0
6/2/2025 | 12 | 77638 | 12691 | -12189 | 12494 | 5432 | -5217 | 0.163 | 0 | 0 | 0
6/2/2025 | 13 | 78875 | 12699 | -12058 | 12557 | 5435 | -5161 | 0.161 | 0 | 0 | 0
6/2/2025 | 14 | 81538 | 13110 | -12397 | 12978 | 5612 | -5306 | 0.162 | 0 | 0 | 0
6/2/2025 | 15 | 83852 | 13666 | -12890 | 13320 | 5849 | -5517 | 0.161 | 0 | 0 | 0
6/2/2025 | 16 | 87332 | 13942 | -13530 | 13762 | 5967 | -5791 | 0.159 | 0 | 0 | 0
6/2/2025 | 17 | 90337 | 14280 | -14280 | 14151 | 6112 | -6112 | 0.157 | 0 | 0 | 0
6/2/2025 | 18 | 94090 | 15171 | -15108 | 15776 | 6493 | -6466 | 0.168 | 60 | 7 | 0.117
6/2/2025 | 19 | 95599 | 15591 | -15215 | 18022 | 6673 | -6512 | 0.189 | 458 | 2 | 0.004
6/2/2025 | 20 | 94284 | 16991 | -16769 | 19476 | 7272 | -7177 | 0.207 | 1312 | 312 | 0.238
6/2/2025 | 21 | 91280 | 16880 | -16492 | 19318 | 7225 | -7058 | 0.213 | 1923 | 718 | 0.373
6/2/2025 | 22 | 87956 | 16276 | -15670 | 19117 | 6966 | -6706 | 0.219 | 1805 | 520 | 0.288
6/2/2025 | 23 | 82016 | 12721 | -11884 | 18925 | 5444 | -5086 | 0.233 | 881 | 140 | 0.159
6/2/2025 | 24 | 76201 | 13096 | -12365 | 18220 | 5605 | -5292 | 0.241 | 1501 | 339 | 0.226
6/3/2025 | 1 | 71648 | 12664 | -11608 | 17402 | 5420 | -4969 | 0.246 | 1752 | 414 | 0.236
6/3/2025 | 2 | 68977 | 12559 | -11384 | 16844 | 5375 | -4872 | 0.247 | 1788 | 484 | 0.271
6/3/2025 | 3 | 66858 | 13203 | -11956 | 16414 | 5651 | -5117 | 0.249 | 1198 | 254 | 0.212
6/3/2025 | 4 | 65834 | 13302 | -12016 | 16162 | 5693 | -5143 | 0.249 | 977 | 176 | 0.18
6/3/2025 | 5 | 66579 | 13283 | -12065 | 15875 | 5685 | -5164 | 0.242 | 1050 | 198 | 0.189
6/3/2025 | 6 | 69005 | 12886 | -11757 | 15829 | 5515 | -5032 | 0.233 | 817 | 53 | 0.065
6/3/2025 | 7 | 73314 | 14289 | -13588 | 15359 | 6116 | -5816 | 0.212 | 1152 | 193 | 0.168
6/3/2025 | 8 | 76841 | 13460 | -12990 | 13964 | 5761 | -5560 | 0.183 | 625 | 19 | 0.03
6/3/2025 | 9 | 77875 | 13207 | -12612 | 13063 | 5653 | -5398 | 0.17 | 196 | 0 | 0
6/3/2025 | 10 | 78046 | 13022 | -12276 | 13096 | 5573 | -5254 | 0.17 | 317 | 0 | 0
6/3/2025 | 11 | 77900 | 13290 | -12235 | 13668 | 5688 | -5237 | 0.179 | 344 | 0 | 0
6/3/2025 | 12 | 77971 | 13770 | -12293 | 13568 | 5894 | -5262 | 0.179 | 0 | 0 | 0
6/3/2025 | 13 | 80302 | 13981 | -12503 | 13999 | 5984 | -5351 | 0.179 | 0 | 0 | 0
6/3/2025 | 14 | 82486 | 14302 | -12688 | 14522 | 6122 | -5431 | 0.181 | 0 | 0 | 0
6/3/2025 | 15 | 86305 | 15025 | -13317 | 15188 | 6431 | -5700 | 0.181 | 0 | 0 | 0
6/3/2025 | 16 | 88900 | 14994 | -13731 | 15854 | 6417 | -5877 | 0.182 | 309 | 0 | 0
6/3/2025 | 17 | 91469 | 16306 | -15427 | 17172 | 6979 | -6603 | 0.19 | 510 | 0 | 0
6/3/2025 | 18 | 93015 | 16552 | -15771 | 18130 | 7084 | -6750 | 0.197 | 122 | 0 | 0
6/3/2025 | 19 | 93519 | 16642 | -16434 | 19225 | 7123 | -7034 | 0.206 | 1071 | 182 | 0.17
6/3/2025 | 20 | 92102 | 18243 | -18072 | 19379 | 7808 | -7734 | 0.211 | 786 | 106 | 0.135
6/3/2025 | 21 | 90612 | 17870 | -17793 | 19156 | 7649 | -7615 | 0.212 | 1140 | 183 | 0.161
6/3/2025 | 22 | 88238 | 16819 | -16598 | 19134 | 7198 | -7104 | 0.217 | 1368 | 249 | 0.182
6/3/2025 | 23 | 82411 | 13398 | -13069 | 18508 | 5734 | -5594 | 0.225 | 789 | 118 | 0.15
6/3/2025 | 24 | 76491 | 13387 | -12833 | 18165 | 5730 | -5492 | 0.239 | 931 | 149 | 0.16
6/4/2025 | 1 | 72028 | 14216 | -13404 | 17606 | 6085 | -5736 | 0.246 | 1193 | 318 | 0.267
6/4/2025 | 2 | 69523 | 13862 | -13121 | 17279 | 5933 | -5616 | 0.25 | 1065 | 254 | 0.238
6/4/2025 | 3 | 67008 | 13634 | -12887 | 16663 | 5835 | -5516 | 0.251 | 546 | 46 | 0.084
6/4/2025 | 4 | 65955 | 13400 | -12645 | 16567 | 5735 | -5412 | 0.253 | 616 | 52 | 0.084
6/4/2025 | 5 | 66744 | 13476 | -12808 | 17096 | 5768 | -5482 | 0.258 | 831 | 142 | 0.171
6/4/2025 | 6 | 69297 | 13804 | -13269 | 17411 | 5908 | -5679 | 0.253 | 1092 | 215 | 0.197
6/4/2025 | 7 | 72677 | 14803 | -14219 | 16622 | 6335 | -6086 | 0.23 | 1578 | 353 | 0.224
6/4/2025 | 8 | 76005 | 14611 | -14203 | 14756 | 6253 | -6079 | 0.195 | 469 | 0 | 0
6/4/2025 | 9 | 77173 | 13126 | -12988 | 13571 | 5618 | -5558 | 0.176 | 152 | 0 | 0
6/4/2025 | 10 | 78048 | 11839 | -11986 | 13565 | 5067 | -5130 | 0.173 | 0 | 0 | 0
6/4/2025 | 11 | 78182 | 12090 | -12066 | 13603 | 5174 | -5165 | 0.174 | 0 | 0 | 0
6/4/2025 | 12 | 78876 | 11956 | -11867 | 13640 | 5117 | -5079 | 0.173 | 0 | 0 | 0
6/4/2025 | 13 | 80772 | 12018 | -11970 | 13735 | 5144 | -5123 | 0.17 | 0 | 0 | 0
6/4/2025 | 14 | 82931 | 12308 | -12162 | 13965 | 5268 | -5205 | 0.169 | 0 | 0 | 0
6/4/2025 | 15 | 85335 | 12516 | -12621 | 14123 | 5357 | -5402 | 0.165 | 0 | 0 | 0
6/4/2025 | 16 | 87550 | 12995 | -13152 | 14257 | 5562 | -5629 | 0.162 | 0 | 0 | 0
6/4/2025 | 17 | 90811 | 14983 | -14951 | 14872 | 6413 | -6399 | 0.164 | 0 | 0 | 0
6/4/2025 | 18 | 93705 | 15484 | -15425 | 16360 | 6627 | -6602 | 0.175 | 0 | 0 | 0
6/4/2025 | 19 | 94855 | 16245 | -16046 | 18294 | 6953 | -6868 | 0.193 | 608 | 50 | 0.082
6/4/2025 | 20 | 93587 | 17258 | -17018 | 19736 | 7386 | -7283 | 0.211 | 687 | 53 | 0.077
6/4/2025 | 21 | 91961 | 17301 | -17252 | 19568 | 7405 | -7384 | 0.213 | 581 | 54 | 0.093
6/4/2025 | 22 | 88167 | 17108 | -16662 | 19033 | 7322 | -7132 | 0.217 | 602 | 85 | 0.141
6/4/2025 | 23 | 82015 | 14718 | -14218 | 19084 | 6299 | -6085 | 0.234 | 414 | 56 | 0.135
6/4/2025 | 24 | 75788 | 14448 | -13463 | 19133 | 6184 | -5762 | 0.255 | 726 | 74 | 0.102
6/5/2025 | 1 | 71618 | 14903 | -13800 | 18922 | 6378 | -5906 | 0.267 | 663 | 111 | 0.167
6/5/2025 | 2 | 68063 | 14548 | -12959 | 18107 | 6227 | -5546 | 0.27 | 760 | 127 | 0.167
6/5/2025 | 3 | 65885 | 14169 | -12610 | 17725 | 6064 | -5398 | 0.273 | 798 | 140 | 0.175
6/5/2025 | 4 | 64666 | 13742 | -12138 | 17668 | 5882 | -5195 | 0.277 | 679 | 81 | 0.119
6/5/2025 | 5 | 65610 | 13405 | -12162 | 18038 | 5737 | -5206 | 0.278 | 363 | 0 | 0
6/5/2025 | 6 | 67994 | 13469 | -12149 | 18312 | 5765 | -5199 | 0.272 | 407 | 0 | 0
6/5/2025 | 7 | 71810 | 14907 | -13673 | 16794 | 6380 | -5852 | 0.237 | 785 | 107 | 0.136
6/5/2025 | 8 | 76427 | 13448 | -12918 | 14741 | 5756 | -5529 | 0.194 | 87 | 0 | 0
6/5/2025 | 9 | 78553 | 12457 | -12280 | 14404 | 5331 | -5256 | 0.184 | 0 | 0 | 0
6/5/2025 | 10 | 79398 | 12042 | -12120 | 14262 | 5154 | -5187 | 0.179 | 0 | 0 | 0
6/5/2025 | 11 | 79914 | 11844 | -11906 | 14468 | 5069 | -5095 | 0.181 | 0 | 0 | 0
6/5/2025 | 12 | 80407 | 11733 | -11911 | 14702 | 5022 | -5098 | 0.182 | 0 | 0 | 0
6/5/2025 | 13 | 81058 | 12263 | -12379 | 14349 | 5249 | -5298 | 0.177 | 0 | 0 | 0
6/5/2025 | 14 | 83322 | 12366 | -12600 | 14386 | 5292 | -5393 | 0.172 | 0 | 0 | 0
6/5/2025 | 15 | 86331 | 13101 | -13358 | 15174 | 5607 | -5717 | 0.175 | 0 | 0 | 0
6/5/2025 | 16 | 89038 | 13356 | -13851 | 15742 | 5716 | -5928 | 0.175 | 0 | 0 | 0
6/5/2025 | 17 | 92192 | 15202 | -15520 | 16657 | 6506 | -6642 | 0.18 | 0 | 0 | 0
6/5/2025 | 18 | 95120 | 15517 | -15715 | 17971 | 6641 | -6726 | 0.188 | 0 | 0 | 0
6/5/2025 | 19 | 96694 | 16277 | -16328 | 20309 | 6967 | -6988 | 0.21 | 77 | 0 | 0
6/5/2025 | 20 | 94795 | 16127 | -16127 | 21448 | 6903 | -6902 | 0.226 | 435 | 21 | 0.048
6/5/2025 | 21 | 92264 | 15594 | -15675 | 21318 | 6674 | -6709 | 0.231 | 697 | 78 | 0.112
6/5/2025 | 22 | 88338 | 15466 | -15153 | 20800 | 6620 | -6486 | 0.236 | 688 | 50 | 0.073
6/5/2025 | 23 | 82621 | 12616 | -11905 | 20721 | 5399 | -5096 | 0.252 | 688 | 86 | 0.125
6/5/2025 | 24 | 76637 | 12268 | -11625 | 20631 | 5251 | -4976 | 0.271 | 793 | 137 | 0.173
6/6/2025 | 1 | 72072 | 12684 | -11775 | 20079 | 5429 | -5040 | 0.28 | 867 | 136 | 0.157
6/6/2025 | 2 | 68464 | 12768 | -11356 | 19491 | 5465 | -4860 | 0.288 | 1454 | 405 | 0.279
6/6/2025 | 3 | 65694 | 13111 | -11386 | 18848 | 5612 | -4873 | 0.291 | 1201 | 323 | 0.269
6/6/2025 | 4 | 64494 | 13397 | -11609 | 18616 | 5734 | -4969 | 0.292 | 976 | 243 | 0.249
6/6/2025 | 5 | 64881 | 13752 | -12000 | 18697 | 5886 | -5136 | 0.292 | 983 | 191 | 0.194
6/6/2025 | 6 | 66977 | 13887 | -12213 | 18659 | 5944 | -5227 | 0.282 | 864 | 144 | 0.167
6/6/2025 | 7 | 71101 | 14250 | -13067 | 17179 | 6099 | -5593 | 0.245 | 928 | 120 | 0.129
6/6/2025 | 8 | 74998 | 12368 | -12020 | 14768 | 5294 | -5144 | 0.198 | 133 | 0 | 0
6/6/2025 | 9 | 77780 | 11709 | -11706 | 13723 | 5012 | -5010 | 0.176 | 0 | 0 | 0
6/6/2025 | 10 | 79344 | 11540 | -11815 | 14085 | 4939 | -5057 | 0.177 | 0 | 0 | 0
6/6/2025 | 11 | 80063 | 11508 | -12021 | 14228 | 4925 | -5145 | 0.176 | 0 | 0 | 0
6/6/2025 | 12 | 81076 | 11606 | -12132 | 14475 | 4967 | -5193 | 0.177 | 0 | 0 | 0
6/6/2025 | 13 | 83051 | 11696 | -12173 | 14395 | 5006 | -5210 | 0.172 | 0 | 0 | 0
6/6/2025 | 14 | 86077 | 12043 | -12471 | 14882 | 5155 | -5338 | 0.172 | 0 | 0 | 0
6/6/2025 | 15 | 89680 | 12982 | -13423 | 15397 | 5556 | -5745 | 0.17 | 0 | 0 | 0
6/6/2025 | 16 | 93187 | 13653 | -13853 | 15838 | 5844 | -5929 | 0.169 | 0 | 0 | 0
6/6/2025 | 17 | 95938 | 15301 | -15038 | 16527 | 6549 | -6436 | 0.173 | 0 | 0 | 0
6/6/2025 | 18 | 97434 | 16194 | -15734 | 17413 | 6931 | -6734 | 0.18 | 0 | 0 | 0
6/6/2025 | 19 | 97851 | 18294 | -17263 | 19293 | 7830 | -7388 | 0.2 | 110 | 0 | 0
6/6/2025 | 20 | 95625 | 18709 | -17316 | 20814 | 8007 | -7411 | 0.221 | 696 | 9 | 0.013
6/6/2025 | 21 | 91998 | 18777 | -17113 | 20404 | 8037 | -7324 | 0.225 | 666 | 34 | 0.051
6/6/2025 | 22 | 87731 | 18836 | -16761 | 19606 | 8062 | -7174 | 0.228 | 953 | 97 | 0.102
6/6/2025 | 23 | 82594 | 16973 | -14630 | 19320 | 7264 | -6262 | 0.239 | 584 | 46 | 0.079
6/6/2025 | 24 | 77281 | 16357 | -14065 | 18688 | 7001 | -6020 | 0.247 | 644 | 24 | 0.037
6/7/2025 | 1 | 72567 | 16070 | -13863 | 18544 | 6878 | -5933 | 0.261 | 381 | 0 | 0
6/7/2025 | 2 | 68648 | 16102 | -13462 | 17307 | 6892 | -5762 | 0.259 | 457 | 0 | 0
6/7/2025 | 3 | 66078 | 16018 | -13351 | 16880 | 6856 | -5714 | 0.262 | 403 | 0 | 0
6/7/2025 | 4 | 64009 | 15812 | -13188 | 16402 | 6767 | -5645 | 0.263 | 404 | 12 | 0.03
6/7/2025 | 5 | 63143 | 15587 | -12839 | 15902 | 6671 | -5495 | 0.259 | 453 | 0 | 0
6/7/2025 | 6 | 63489 | 15066 | -12529 | 15466 | 6448 | -5362 | 0.251 | 297 | 0 | 0
6/7/2025 | 7 | 64647 | 15744 | -13618 | 14092 | 6738 | -5828 | 0.225 | 231 | 5 | 0.022
6/7/2025 | 8 | 67790 | 14445 | -12566 | 11936 | 6182 | -5378 | 0.183 | 0 | 0 | 0
6/7/2025 | 9 | 71507 | 13699 | -12482 | 11613 | 5863 | -5342 | 0.167 | 0 | 0 | 0
6/7/2025 | 10 | 74049 | 13253 | -12121 | 11757 | 5672 | -5188 | 0.163 | 0 | 0 | 0
6/7/2025 | 11 | 75950 | 13042 | -12118 | 12198 | 5582 | -5186 | 0.164 | 0 | 0 | 0
6/7/2025 | 12 | 77441 | 13227 | -12324 | 12771 | 5661 | -5274 | 0.168 | 0 | 0 | 0
6/7/2025 | 13 | 79397 | 13451 | -12503 | 13259 | 5757 | -5351 | 0.17 | 0 | 0 | 0
6/7/2025 | 14 | 82175 | 13207 | -12248 | 13731 | 5653 | -5242 | 0.17 | 0 | 0 | 0
6/7/2025 | 15 | 85663 | 13947 | -13104 | 14572 | 5969 | -5609 | 0.173 | 0 | 0 | 0
6/7/2025 | 16 | 89592 | 14463 | -13604 | 15408 | 6190 | -5822 | 0.174 | 0 | 0 | 0
6/7/2025 | 17 | 93215 | 16916 | -15879 | 15638 | 7240 | -6796 | 0.171 | 0 | 0 | 0
6/7/2025 | 18 | 97185 | 17790 | -16606 | 17399 | 7614 | -7107 | 0.182 | 0 | 0 | 0
6/7/2025 | 19 | 98623 | 17976 | -16665 | 20104 | 7693 | -7133 | 0.207 | 0 | 0 | 0
6/7/2025 | 20 | 97750 | 17484 | -16277 | 22096 | 7483 | -6967 | 0.229 | 108 | 0 | 0
6/7/2025 | 21 | 93613 | 16956 | -15692 | 22098 | 7257 | -6716 | 0.239 | 432 | 0 | 0
6/7/2025 | 22 | 89220 | 15543 | -13970 | 20888 | 6652 | -5979 | 0.237 | 611 | 10 | 0.016
6/7/2025 | 23 | 83223 | 13427 | -11439 | 20493 | 5747 | -4896 | 0.25 | 454 | 1 | 0.002
6/7/2025 | 24 | 77389 | 13277 | -11184 | 19991 | 5683 | -4787 | 0.263 | 430 | 23 | 0.053
6/8/2025 | 1 | 72441 | 12543 | -10429 | 19174 | 5369 | -4464 | 0.269 | 868 | 148 | 0.171
6/8/2025 | 2 | 68318 | 12654 | -10683 | 18699 | 5416 | -4572 | 0.278 | 818 | 122 | 0.149
6/8/2025 | 3 | 64898 | 12588 | -10304 | 18045 | 5388 | -4410 | 0.283 | 876 | 129 | 0.147
6/8/2025 | 4 | 62837 | 12736 | -10304 | 17316 | 5451 | -4410 | 0.281 | 822 | 150 | 0.182
6/8/2025 | 5 | 61941 | 13232 | -10642 | 17263 | 5663 | -4555 | 0.285 | 891 | 143 | 0.16
6/8/2025 | 6 | 61113 | 13658 | -10768 | 16685 | 5846 | -4609 | 0.28 | 578 | 47 | 0.081
6/8/2025 | 7 | 62166 | 12013 | -9903 | 14596 | 5142 | -4239 | 0.241 | 364 | 32 | 0.088
6/8/2025 | 8 | 64339 | 12012 | -10068 | 12090 | 5141 | -4309 | 0.195 | 0 | 0 | 0
6/8/2025 | 9 | 68620 | 11940 | -10356 | 11703 | 5110 | -4432 | 0.176 | 0 | 0 | 0
6/8/2025 | 10 | 71795 | 11848 | -10744 | 12722 | 5071 | -4598 | 0.181 | 0 | 0 | 0
6/8/2025 | 11 | 74178 | 11275 | -10130 | 12510 | 4826 | -4335 | 0.173 | 0 | 0 | 0
6/8/2025 | 12 | 76462 | 11294 | -10050 | 12836 | 4834 | -4302 | 0.172 | 0 | 0 | 0
6/8/2025 | 13 | 79679 | 11729 | -10669 | 13358 | 5020 | -4566 | 0.171 | 0 | 0 | 0
6/8/2025 | 14 | 83779 | 11429 | -10671 | 14390 | 4892 | -4567 | 0.174 | 0 | 0 | 0
6/8/2025 | 15 | 88594 | 13476 | -12738 | 15321 | 5768 | -5452 | 0.175 | 0 | 0 | 0
6/8/2025 | 16 | 94215 | 14082 | -13654 | 16696 | 6027 | -5844 | 0.178 | 0 | 0 | 0
6/8/2025 | 17 | 98567 | 14635 | -14281 | 17243 | 6264 | -6112 | 0.176 | 0 | 0 | 0
6/8/2025 | 18 | 102820 | 15541 | -15441 | 18729 | 6652 | -6609 | 0.182 | 0 | 0 | 0
6/8/2025 | 19 | 104595 | 15978 | -15835 | 21622 | 6839 | -6778 | 0.207 | 0 | 0 | 0
6/8/2025 | 20 | 103348 | 16179 | -16099 | 23079 | 6925 | -6890 | 0.223 | 88 | 0 | 0
6/8/2025 | 21 | 99525 | 15705 | -15552 | 23473 | 6722 | -6656 | 0.236 | 707 | 51 | 0.072
6/8/2025 | 22 | 94619 | 15194 | -14872 | 23021 | 6503 | -6365 | 0.244 | 906 | 23 | 0.025
6/8/2025 | 23 | 87222 | 12727 | -12230 | 22625 | 5447 | -5234 | 0.26 | 704 | 16 | 0.023
6/8/2025 | 24 | 79680 | 11856 | -10967 | 22386 | 5074 | -4694 | 0.283 | 419 | 14 | 0.033
6/9/2025 | 1 | 74187 | 12438 | -11049 | 21374 | 5324 | -4729 | 0.291 | 276 | 7 | 0.025
6/9/2025 | 2 | 70046 | 12153 | -10522 | 20501 | 5202 | -4503 | 0.296 | 526 | 70 | 0.133
6/9/2025 | 3 | 67293 | 11761 | -10084 | 19805 | 5034 | -4316 | 0.298 | 551 | 83 | 0.151
6/9/2025 | 4 | 65964 | 11838 | -10287 | 19525 | 5067 | -4403 | 0.299 | 540 | 44 | 0.081
6/9/2025 | 5 | 66472 | 11777 | -10036 | 19756 | 5040 | -4295 | 0.301 | 556 | 67 | 0.121
6/9/2025 | 6 | 68345 | 11966 | -10187 | 19735 | 5122 | -4360 | 0.292 | 539 | 66 | 0.122
6/9/2025 | 7 | 72227 | 16781 | -15032 | 17637 | 7182 | -6434 | 0.249 | 794 | 159 | 0.2
6/9/2025 | 8 | 77194 | 16418 | -14997 | 15638 | 7027 | -6419 | 0.207 | 179 | 15 | 0.084
6/9/2025 | 9 | 81496 | 16370 | -15411 | 15306 | 7006 | -6596 | 0.191 | 0 | 0 | 0
6/9/2025 | 10 | 83610 | 16811 | -15504 | 15698 | 7195 | -6636 | 0.191 | 0 | 0 | 0
6/9/2025 | 11 | 85564 | 16192 | -14740 | 16074 | 6930 | -6309 | 0.192 | 0 | 0 | 0
6/9/2025 | 12 | 88339 | 16247 | -15121 | 16334 | 6954 | -6472 | 0.188 | 0 | 0 | 0
6/9/2025 | 13 | 92609 | 16614 | -15996 | 17518 | 7111 | -6846 | 0.191 | 0 | 0 | 0
6/9/2025 | 14 | 96978 | 16543 | -16278 | 18107 | 7081 | -6967 | 0.187 | 0 | 0 | 0
6/9/2025 | 15 | 100506 | 17510 | -17044 | 18632 | 7494 | -7295 | 0.186 | 0 | 0 | 0
6/9/2025 | 16 | 104977 | 18639 | -18190 | 19652 | 7977 | -7785 | 0.188 | 0 | 0 | 0
6/9/2025 | 17 | 108854 | 21091 | -21094 | 20533 | 9027 | -9028 | 0.189 | 0 | 0 | 0
6/9/2025 | 18 | 111995 | 21552 | -21535 | 22002 | 9224 | -9217 | 0.196 | 0 | 0 | 0
6/9/2025 | 19 | 112580 | 21405 | -21441 | 23800 | 9161 | -9177 | 0.211 | 272 | 0 | 0
6/9/2025 | 20 | 110713 | 21377 | -21606 | 25153 | 9150 | -9247 | 0.227 | 568 | 76 | 0.134
6/9/2025 | 21 | 105734 | 19399 | -19503 | 25284 | 8303 | -8347 | 0.239 | 825 | 161 | 0.195
6/9/2025 | 22 | 99608 | 18084 | -17378 | 24492 | 7740 | -7438 | 0.247 | 1681 | 477 | 0.284
6/9/2025 | 23 | 91580 | 12827 | -11849 | 24119 | 5490 | -5071 | 0.265 | 397 | 43 | 0.108
6/9/2025 | 24 | 83265 | 12846 | -11349 | 23213 | 5498 | -4858 | 0.281 | 356 | 16 | 0.045
6/10/2025 | 1 | 77998 | 13940 | -12141 | 21924 | 5966 | -5196 | 0.284 | 415 | 20 | 0.048
6/10/2025 | 2 | 73439 | 14042 | -12182 | 21178 | 6010 | -5214 | 0.292 | 552 | 38 | 0.069
6/10/2025 | 3 | 70124 | 13717 | -11899 | 20029 | 5871 | -5093 | 0.289 | 542 | 33 | 0.061
6/10/2025 | 4 | 68458 | 13624 | -11857 | 19502 | 5831 | -5075 | 0.288 | 445 | 2 | 0.004
6/10/2025 | 5 | 68827 | 13473 | -11814 | 19767 | 5766 | -5057 | 0.29 | 630 | 32 | 0.051
6/10/2025 | 6 | 70693 | 13460 | -11743 | 19508 | 5761 | -5026 | 0.28 | 816 | 123 | 0.151
6/10/2025 | 7 | 74278 | 14638 | -13191 | 18249 | 6265 | -5646 | 0.249 | 1456 | 327 | 0.225
6/10/2025 | 8 | 78662 | 13638 | -12579 | 16067 | 5837 | -5384 | 0.207 | 311 | 5 | 0.016
6/10/2025 | 9 | 81925 | 13695 | -12901 | 16015 | 5861 | -5521 | 0.198 | 33 | 0 | 0
6/10/2025 | 10 | 83907 | 12793 | -12486 | 16230 | 5475 | -5344 | 0.194 | 0 | 0 | 0
6/10/2025 | 11 | 85521 | 12915 | -12672 | 16357 | 5528 | -5424 | 0.192 | 0 | 0 | 0
6/10/2025 | 12 | 87620 | 12765 | -12714 | 16721 | 5464 | -5441 | 0.191 | 0 | 0 | 0
6/10/2025 | 13 | 90782 | 13239 | -13200 | 17280 | 5666 | -5649 | 0.19 | 0 | 0 | 0
6/10/2025 | 14 | 95516 | 13624 | -13729 | 18441 | 5831 | -5876 | 0.193 | 0 | 0 | 0
6/10/2025 | 15 | 100514 | 14844 | -15317 | 19416 | 6353 | -6556 | 0.192 | 0 | 0 | 0
6/10/2025 | 16 | 104873 | 15635 | -16135 | 20309 | 6692 | -6906 | 0.193 | 0 | 0 | 0
6/10/2025 | 17 | 108704 | 19030 | -19530 | 21285 | 8145 | -8359 | 0.195 | 0 | 0 | 0
6/10/2025 | 18 | 110541 | 20103 | -20449 | 22700 | 8604 | -8752 | 0.205 | 0 | 0 | 0
6/10/2025 | 19 | 110895 | 20249 | -20564 | 24134 | 8667 | -8801 | 0.217 | 21 | 0 | 0
6/10/2025 | 20 | 107840 | 20051 | -19923 | 24936 | 8582 | -8527 | 0.231 | 662 | 22 | 0.033
6/10/2025 | 21 | 103537 | 18775 | -18228 | 25081 | 8036 | -7802 | 0.243 | 871 | 59 | 0.068
6/10/2025 | 22 | 97775 | 18009 | -17199 | 24266 | 7708 | -7361 | 0.25 | 946 | 96 | 0.101
6/10/2025 | 23 | 90204 | 15057 | -13928 | 23833 | 6444 | -5961 | 0.266 | 308 | 0 | 0
6/10/2025 | 24 | 82971 | 14991 | -13438 | 22882 | 6416 | -5751 | 0.279 | 384 | 0 | 0
6/11/2025 | 1 | 77507 | 15188 | -13123 | 21347 | 6501 | -5617 | 0.279 | 376 | 7 | 0.019
6/11/2025 | 2 | 73027 | 15144 | -12954 | 20505 | 6482 | -5544 | 0.285 | 538 | 12 | 0.022
6/11/2025 | 3 | 69903 | 14801 | -12837 | 19825 | 6335 | -5494 | 0.288 | 523 | 24 | 0.046
6/11/2025 | 4 | 68723 | 14516 | -12725 | 19486 | 6213 | -5446 | 0.287 | 602 | 80 | 0.133
6/11/2025 | 5 | 68981 | 14391 | -12636 | 19383 | 6159 | -5408 | 0.285 | 654 | 72 | 0.11
6/11/2025 | 6 | 70734 | 14520 | -12840 | 19025 | 6215 | -5495 | 0.273 | 495 | 10 | 0.02
6/11/2025 | 7 | 75008 | 15008 | -14173 | 17235 | 6423 | -6066 | 0.232 | 596 | 65 | 0.109
6/11/2025 | 8 | 78587 | 13738 | -13279 | 14882 | 5880 | -5683 | 0.191 | 0 | 0 | 0
6/11/2025 | 9 | 82026 | 12259 | -12456 | 14498 | 5247 | -5331 | 0.176 | 0 | 0 | 0
6/11/2025 | 10 | 83770 | 12242 | -12549 | 14681 | 5240 | -5371 | 0.174 | 0 | 0 | 0
6/11/2025 | 11 | 84942 | 12039 | -12441 | 14867 | 5152 | -5325 | 0.174 | 0 | 0 | 0
6/11/2025 | 12 | 85882 | 12495 | -12882 | 14816 | 5348 | -5514 | 0.171 | 0 | 0 | 0
6/11/2025 | 13 | 88379 | 12598 | -12992 | 15068 | 5392 | -5560 | 0.169 | 0 | 0 | 0
6/11/2025 | 14 | 90850 | 12977 | -13423 | 15211 | 5554 | -5745 | 0.166 | 0 | 0 | 0
6/11/2025 | 15 | 94838 | 14210 | -14929 | 15473 | 6082 | -6390 | 0.161 | 0 | 0 | 0
6/11/2025 | 16 | 98760 | 14446 | -15110 | 16022 | 6183 | -6467 | 0.16 | 0 | 0 | 0
6/11/2025 | 17 | 102369 | 16786 | -17409 | 16708 | 7185 | -7451 | 0.162 | 0 | 0 | 0
6/11/2025 | 18 | 104767 | 17244 | -17547 | 18152 | 7380 | -7510 | 0.173 | 0 | 0 | 0
6/11/2025 | 19 | 105481 | 18095 | -18097 | 20115 | 7744 | -7746 | 0.191 | 0 | 0 | 0
6/11/2025 | 20 | 103788 | 18291 | -18336 | 22008 | 7828 | -7848 | 0.212 | 536 | 0 | 0
6/11/2025 | 21 | 99628 | 18708 | -18260 | 22274 | 8007 | -7815 | 0.224 | 515 | 0 | 0
6/11/2025 | 22 | 95515 | 18234 | -17502 | 21807 | 7804 | -7491 | 0.23 | 559 | 0 | 0
6/11/2025 | 23 | 88227 | 15602 | -14467 | 21091 | 6677 | -6192 | 0.241 | 391 | 8 | 0.02
6/11/2025 | 24 | 81727 | 15743 | -14132 | 20249 | 6738 | -6048 | 0.251 | 717 | 12 | 0.017
6/12/2025 | 1 | 76530 | 15621 | -13990 | 19381 | 6686 | -5988 | 0.257 | 391 | 2 | 0.005
6/12/2025 | 2 | 72648 | 15371 | -13906 | 18540 | 6579 | -5952 | 0.259 | 389 | 3 | 0.008
6/12/2025 | 3 | 69624 | 15394 | -13915 | 18082 | 6589 | -5956 | 0.263 | 372 | 0 | 0
6/12/2025 | 4 | 68016 | 14892 | -13607 | 17670 | 6374 | -5824 | 0.263 | 413 | 0 | 0
6/12/2025 | 5 | 68352 | 14573 | -13414 | 17286 | 6237 | -5741 | 0.256 | 359 | 0 | 0
6/12/2025 | 6 | 70778 | 14836 | -13791 | 17383 | 6350 | -5902 | 0.248 | 179 | 0 | 0
6/12/2025 | 7 | 74676 | 15430 | -14996 | 15861 | 6604 | -6418 | 0.214 | 366 | 59 | 0.161
6/12/2025 | 8 | 79289 | 13817 | -14259 | 13764 | 5914 | -6103 | 0.172 | 0 | 0 | 0
6/12/2025 | 9 | 82122 | 12297 | -13436 | 12940 | 5263 | -5751 | 0.154 | 0 | 0 | 0
6/12/2025 | 10 | 84023 | 12281 | -13670 | 12982 | 5256 | -5850 | 0.15 | 0 | 0 | 0
6/12/2025 | 11 | 85186 | 12318 | -13910 | 13296 | 5272 | -5954 | 0.151 | 0 | 0 | 0
6/12/2025 | 12 | 86279 | 12370 | -13970 | 13698 | 5294 | -5979 | 0.154 | 0 | 0 | 0
6/12/2025 | 13 | 88666 | 12726 | -14504 | 14441 | 5447 | -6208 | 0.157 | 0 | 0 | 0
6/12/2025 | 14 | 91605 | 12428 | -14082 | 15235 | 5319 | -6027 | 0.161 | 0 | 0 | 0
6/12/2025 | 15 | 95131 | 13068 | -14693 | 15452 | 5593 | -6289 | 0.158 | 0 | 0 | 0
6/12/2025 | 16 | 98101 | 13942 | -15191 | 15526 | 5967 | -6502 | 0.155 | 0 | 0 | 0
6/12/2025 | 17 | 100776 | 16803 | -17812 | 15804 | 7192 | -7624 | 0.154 | 0 | 0 | 0
6/12/2025 | 18 | 102658 | 16924 | -17341 | 16924 | 7244 | -7422 | 0.164 | 0 | 0 | 0
6/12/2025 | 19 | 103591 | 18043 | -18378 | 19070 | 7722 | -7866 | 0.183 | 60 | 0 | 0
6/12/2025 | 20 | 102363 | 17880 | -18097 | 21255 | 7653 | -7746 | 0.207 | 706 | 52 | 0.074
6/12/2025 | 21 | 98809 | 18005 | -17848 | 21612 | 7706 | -7639 | 0.219 | 516 | 9 | 0.017
6/12/2025 | 22 | 94430 | 16644 | -16285 | 20544 | 7123 | -6970 | 0.218 | 724 | 23 | 0.032
6/12/2025 | 23 | 87931 | 14781 | -13980 | 20208 | 6326 | -5983 | 0.232 | 597 | 2 | 0.003
6/12/2025 | 24 | 81072 | 14306 | -13133 | 19910 | 6123 | -5621 | 0.248 | 844 | 87 | 0.103
6/13/2025 | 1 | 76002 | 13489 | -12066 | 18604 | 5773 | -5164 | 0.248 | 346 | 1 | 0.003
6/13/2025 | 2 | 72231 | 13809 | -12555 | 18099 | 5910 | -5374 | 0.254 | 556 | 46 | 0.083
6/13/2025 | 3 | 69194 | 14378 | -12941 | 17682 | 6154 | -5539 | 0.259 | 480 | 14 | 0.029
6/13/2025 | 4 | 67569 | 14018 | -12598 | 17283 | 6000 | -5392 | 0.259 | 480 | 28 | 0.058
6/13/2025 | 5 | 68086 | 13663 | -12459 | 17611 | 5848 | -5332 | 0.262 | 484 | 45 | 0.093
6/13/2025 | 6 | 70468 | 13457 | -12588 | 17876 | 5759 | -5388 | 0.256 | 645 | 31 | 0.048
6/13/2025 | 7 | 73863 | 14209 | -13424 | 16107 | 6081 | -5745 | 0.22 | 556 | 77 | 0.138
6/13/2025 | 8 | 77967 | 12803 | -12749 | 13308 | 5479 | -5457 | 0.171 | 0 | 0 | 0
6/13/2025 | 9 | 80491 | 11810 | -11962 | 12851 | 5055 | -5120 | 0.159 | 0 | 0 | 0
6/13/2025 | 10 | 81224 | 11584 | -12153 | 12710 | 4958 | -5201 | 0.155 | 0 | 0 | 0
6/13/2025 | 11 | 82908 | 11567 | -12197 | 13129 | 4951 | -5220 | 0.156 | 0 | 0 | 0
6/13/2025 | 12 | 84730 | 11845 | -12522 | 13775 | 5069 | -5359 | 0.16 | 0 | 0 | 0
6/13/2025 | 13 | 86691 | 12519 | -13278 | 14003 | 5358 | -5683 | 0.159 | 0 | 0 | 0
6/13/2025 | 14 | 90039 | 12910 | -13916 | 14710 | 5525 | -5956 | 0.16 | 0 | 0 | 0
6/13/2025 | 15 | 93451 | 13394 | -14434 | 15064 | 5733 | -6178 | 0.158 | 0 | 0 | 0
6/13/2025 | 16 | 96320 | 13736 | -14972 | 15320 | 5879 | -6408 | 0.156 | 0 | 0 | 0
6/13/2025 | 17 | 98952 | 16609 | -17316 | 15739 | 7108 | -7411 | 0.157 | 0 | 0 | 0
6/13/2025 | 18 | 100899 | 18137 | -18363 | 17728 | 7763 | -7860 | 0.175 | 0 | 0 | 0
6/13/2025 | 19 | 100053 | 19132 | -18959 | 18721 | 8189 | -8114 | 0.188 | 168 | 0 | 0
6/13/2025 | 20 | 98435 | 19159 | -18836 | 20374 | 8200 | -8062 | 0.208 | 608 | 8 | 0.013
6/13/2025 | 21 | 94904 | 18615 | -18213 | 20223 | 7967 | -7795 | 0.214 | 1151 | 80 | 0.07
6/13/2025 | 22 | 91630 | 18026 | -17479 | 19917 | 7715 | -7481 | 0.219 | 1039 | 38 | 0.037
6/13/2025 | 23 | 85571 | 16179 | -15214 | 18260 | 6924 | -6512 | 0.216 | 700 | 2 | 0.003
6/13/2025 | 24 | 79557 | 16123 | -14635 | 17982 | 6901 | -6264 | 0.23 | 429 | 2 | 0.005
6/14/2025 | 1 | 75207 | 15503 | -14287 | 17444 | 6635 | -6115 | 0.235 | 335 | 0 | 0
6/14/2025 | 2 | 71608 | 14975 | -13931 | 17084 | 6409 | -5962 | 0.241 | 388 | 0 | 0
6/14/2025 | 3 | 68502 | 14821 | -13791 | 16593 | 6343 | -5902 | 0.245 | 361 | 0 | 0
6/14/2025 | 4 | 66784 | 14582 | -13541 | 16596 | 6241 | -5795 | 0.251 | 343 | 1 | 0.003
6/14/2025 | 5 | 66175 | 14306 | -13312 | 16563 | 6123 | -5697 | 0.253 | 114 | 0 | 0
6/14/2025 | 6 | 65676 | 14232 | -13080 | 16422 | 6091 | -5598 | 0.253 | 103 | 0 | 0
6/14/2025 | 7 | 67690 | 14440 | -13721 | 14986 | 6180 | -5873 | 0.224 | 197 | 17 | 0.086
6/14/2025 | 8 | 70561 | 12970 | -12584 | 12201 | 5551 | -5386 | 0.174 | 0 | 0 | 0
6/14/2025 | 9 | 73159 | 12165 | -12214 | 11977 | 5207 | -5228 | 0.164 | 0 | 0 | 0
6/14/2025 | 10 | 74970 | 11831 | -12195 | 12254 | 5064 | -5219 | 0.162 | 0 | 0 | 0
6/14/2025 | 11 | 76484 | 11686 | -12426 | 12664 | 5001 | -5318 | 0.163 | 0 | 0 | 0
6/14/2025 | 12 | 78416 | 11825 | -12702 | 13491 | 5061 | -5437 | 0.169 | 0 | 0 | 0
6/14/2025 | 13 | 81391 | 12449 | -13325 | 14139 | 5328 | -5703 | 0.171 | 0 | 0 | 0
6/14/2025 | 14 | 84207 | 12463 | -13202 | 14908 | 5334 | -5651 | 0.175 | 0 | 0 | 0
6/14/2025 | 15 | 88489 | 12902 | -13523 | 15601 | 5522 | -5788 | 0.175 | 0 | 0 | 0
6/14/2025 | 16 | 92405 | 12740 | -13396 | 16023 | 5453 | -5734 | 0.172 | 0 | 0 | 0
6/14/2025 | 17 | 95702 | 14820 | -14798 | 17308 | 6343 | -6334 | 0.181 | 0 | 0 | 0
6/14/2025 | 18 | 99127 | 15832 | -15782 | 19013 | 6776 | -6755 | 0.192 | 20 | 0 | 0
6/14/2025 | 19 | 100196 | 17084 | -16725 | 20934 | 7312 | -7158 | 0.21 | 450 | 0 | 0
6/14/2025 | 20 | 98346 | 16560 | -16262 | 22081 | 7088 | -6960 | 0.225 | 776 | 96 | 0.124
6/14/2025 | 21 | 94497 | 16493 | -15977 | 21696 | 7059 | -6838 | 0.231 | 950 | 132 | 0.139
6/14/2025 | 22 | 90757 | 16186 | -15540 | 20853 | 6927 | -6651 | 0.231 | 1494 | 334 | 0.224
6/14/2025 | 23 | 85084 | 14807 | -14089 | 20283 | 6337 | -6030 | 0.24 | 1389 | 317 | 0.228
6/14/2025 | 24 | 79007 | 14667 | -13878 | 20140 | 6278 | -5940 | 0.257 | 1170 | 245 | 0.209
6/15/2025 | 1 | 74250 | 14174 | -13406 | 19502 | 6066 | -5738 | 0.264 | 1814 | 480 | 0.265
6/15/2025 | 2 | 69850 | 14065 | -12959 | 18385 | 6020 | -5546 | 0.266 | 1164 | 277 | 0.238
6/15/2025 | 3 | 66401 | 14038 | -12765 | 17470 | 6008 | -5463 | 0.266 | 562 | 55 | 0.098
6/15/2025 | 4 | 64573 | 13862 | -12454 | 17202 | 5933 | -5331 | 0.27 | 438 | 0 | 0
6/15/2025 | 5 | 64191 | 13627 | -12392 | 16871 | 5832 | -5304 | 0.266 | 375 | 0 | 0
6/15/2025 | 6 | 63841 | 13681 | -12405 | 16781 | 5855 | -5310 | 0.266 | 426 | 0 | 0
6/15/2025 | 7 | 64826 | 12146 | -11538 | 14889 | 5198 | -4939 | 0.232 | 485 | 57 | 0.118
6/15/2025 | 8 | 67362 | 10739 | -10715 | 12482 | 4596 | -4586 | 0.185 | 0 | 0 | 0
6/15/2025 | 9 | 70438 | 11341 | -11533 | 12314 | 4854 | -4936 | 0.174 | 0 | 0 | 0
6/15/2025 | 10 | 72499 | 10901 | -11286 | 12423 | 4666 | -4830 | 0.17 | 0 | 0 | 0
6/15/2025 | 11 | 75045 | 11233 | -11716 | 12692 | 4808 | -5014 | 0.167 | 0 | 0 | 0
6/15/2025 | 12 | 78501 | 11363 | -11804 | 12967 | 4864 | -5052 | 0.164 | 0 | 0 | 0
6/15/2025 | 13 | 82746 | 11151 | -11766 | 14060 | 4773 | -5035 | 0.168 | 0 | 0 | 0
6/15/2025 | 14 | 87480 | 11477 | -12125 | 15264 | 4912 | -5190 | 0.173 | 0 | 0 | 0
6/15/2025 | 15 | 92051 | 12333 | -12656 | 16501 | 5279 | -5416 | 0.178 | 0 | 0 | 0
6/15/2025 | 16 | 96833 | 12994 | -13309 | 17795 | 5562 | -5696 | 0.183 | 0 | 0 | 0
6/15/2025 | 17 | 101368 | 14274 | -14323 | 19072 | 6109 | -6130 | 0.188 | 64 | 0 | 0
6/15/2025 | 18 | 104745 | 14768 | -14390 | 20158 | 6321 | -6159 | 0.193 | 796 | 112 | 0.141
6/15/2025 | 19 | 106559 | 14431 | -13813 | 22226 | 6177 | -5912 | 0.21 | 594 | 0 | 0
6/15/2025 | 20 | 103735 | 14726 | -13599 | 23922 | 6303 | -5820 | 0.233 | 804 | 86 | 0.107
6/15/2025 | 21 | 99914 | 14503 | -13550 | 23920 | 6207 | -5799 | 0.241 | 1266 | 254 | 0.201
6/15/2025 | 22 | 94960 | 14034 | -13227 | 23351 | 6006 | -5661 | 0.247 | 1625 | 402 | 0.247
6/15/2025 | 23 | 87620 | 13280 | -12054 | 22966 | 5684 | -5159 | 0.264 | 962 | 222 | 0.231
6/15/2025 | 24 | 80131 | 13408 | -12170 | 22126 | 5739 | -5209 | 0.278 | 872 | 203 | 0.233
6/16/2025 | 1 | 74520 | 14188 | -12630 | 20833 | 6073 | -5406 | 0.283 | 1250 | 354 | 0.283
6/16/2025 | 2 | 70624 | 12991 | -11493 | 19597 | 5560 | -4919 | 0.281 | 607 | 91 | 0.15
6/16/2025 | 3 | 68202 | 12793 | -11556 | 18668 | 5476 | -4946 | 0.276 | 422 | 0 | 0
6/16/2025 | 4 | 66815 | 12381 | -11110 | 18353 | 5299 | -4755 | 0.278 | 472 | 7 | 0.015
6/16/2025 | 5 | 67413 | 12112 | -10935 | 18692 | 5184 | -4680 | 0.28 | 1024 | 218 | 0.213
6/16/2025 | 6 | 69863 | 12449 | -11293 | 19142 | 5328 | -4834 | 0.276 | 1498 | 370 | 0.247
6/16/2025 | 7 | 73728 | 13742 | -12826 | 17315 | 5881 | -5490 | 0.237 | 1212 | 305 | 0.252
6/16/2025 | 8 | 77940 | 12816 | -12238 | 15026 | 5485 | -5238 | 0.195 | 65 | 0 | 0
6/16/2025 | 9 | 80722 | 12594 | -12236 | 15458 | 5390 | -5237 | 0.193 | 0 | 0 | 0
6/16/2025 | 10 | 83421 | 12327 | -12215 | 15920 | 5276 | -5228 | 0.191 | 0 | 0 | 0
6/16/2025 | 11 | 86288 | 12498 | -12495 | 16072 | 5349 | -5348 | 0.186 | 0 | 0 | 0
6/16/2025 | 12 | 89725 | 12686 | -12942 | 16642 | 5430 | -5539 | 0.185 | 0 | 0 | 0
6/16/2025 | 13 | 93318 | 12534 | -12868 | 17182 | 5364 | -5508 | 0.183 | 0 | 0 | 0
6/16/2025 | 14 | 97551 | 12833 | -13247 | 17806 | 5492 | -5670 | 0.181 | 0 | 0 | 0
6/16/2025 | 15 | 102641 | 14259 | -15145 | 19064 | 6103 | -6482 | 0.184 | 0 | 0 | 0
6/16/2025 | 16 | 106139 | 15054 | -15991 | 19936 | 6443 | -6844 | 0.186 | 0 | 0 | 0
6/16/2025 | 17 | 109470 | 17545 | -18549 | 20621 | 7509 | -7939 | 0.186 | 0 | 0 | 0
6/16/2025 | 18 | 112104 | 18291 | -19194 | 21695 | 7828 | -8215 | 0.192 | 259 | 7 | 0.027
6/16/2025 | 19 | 112564 | 19339 | -19590 | 23712 | 8277 | -8384 | 0.21 | 392 | 0 | 0
6/16/2025 | 20 | 110529 | 19676 | -19686 | 25658 | 8421 | -8426 | 0.232 | 856 | 98 | 0.114
6/16/2025 | 21 | 105995 | 18858 | -18682 | 25497 | 8071 | -7996 | 0.241 | 1347 | 340 | 0.252
6/16/2025 | 22 | 101084 | 18348 | -18288 | 24229 | 7853 | -7827 | 0.24 | 2004 | 594 | 0.296
6/16/2025 | 23 | 93571 | 15666 | -15629 | 23290 | 6705 | -6689 | 0.249 | 1929 | 656 | 0.34
6/16/2025 | 24 | 85257 | 15264 | -14627 | 22960 | 6533 | -6261 | 0.27 | 2190 | 952 | 0.435
6/17/2025 | 1 | 79804 | 15452 | -14705 | 21360 | 6614 | -6294 | 0.269 | 1567 | 583 | 0.372
6/17/2025 | 2 | 75345 | 15286 | -14533 | 19888 | 6542 | -6220 | 0.266 | 1038 | 286 | 0.276
6/17/2025 | 3 | 72210 | 15334 | -14488 | 19313 | 6563 | -6201 | 0.269 | 702 | 144 | 0.205
6/17/2025 | 4 | 70406 | 14882 | -14049 | 19335 | 6369 | -6014 | 0.276 | 570 | 77 | 0.135
6/17/2025 | 5 | 70225 | 14628 | -13696 | 19160 | 6261 | -5862 | 0.275 | 548 | 68 | 0.124
6/17/2025 | 6 | 71999 | 14279 | -13210 | 19212 | 6111 | -5654 | 0.269 | 1085 | 258 | 0.238
6/17/2025 | 7 | 75016 | 14113 | -12931 | 17223 | 6040 | -5534 | 0.233 | 970 | 214 | 0.221
6/17/2025 | 8 | 79746 | 12777 | -12783 | 15228 | 5468 | -5471 | 0.191 | 88 | 0 | 0
6/17/2025 | 9 | 82362 | 11806 | -11973 | 15559 | 5053 | -5125 | 0.188 | 0 | 0 | 0
6/17/2025 | 10 | 84249 | 11933 | -12375 | 16378 | 5107 | -5296 | 0.193 | 0 | 0 | 0
6/17/2025 | 11 | 86248 | 12579 | -12957 | 16324 | 5384 | -5546 | 0.188 | 0 | 0 | 0
6/17/2025 | 12 | 89494 | 12126 | -12808 | 16507 | 5190 | -5482 | 0.183 | 0 | 0 | 0
6/17/2025 | 13 | 93242 | 12684 | -13463 | 17035 | 5429 | -5762 | 0.181 | 0 | 0 | 0
6/17/2025 | 14 | 97963 | 12778 | -13451 | 17882 | 5469 | -5757 | 0.181 | 0 | 0 | 0
6/17/2025 | 15 | 102342 | 13594 | -14258 | 19373 | 5818 | -6103 | 0.188 | 0 | 0 | 0
6/17/2025 | 16 | 106528 | 14191 | -14573 | 20258 | 6074 | -6237 | 0.189 | 0 | 0 | 0
6/17/2025 | 17 | 108460 | 17236 | -17005 | 20212 | 7377 | -7278 | 0.187 | 0 | 0 | 0
6/17/2025 | 18 | 111236 | 17300 | -16803 | 21859 | 7404 | -7192 | 0.198 | 6 | 0 | 0
6/17/2025 | 19 | 112993 | 17715 | -17496 | 24243 | 7582 | -7488 | 0.215 | 114 | 0 | 0
6/17/2025 | 20 | 110239 | 18606 | -18284 | 26201 | 7963 | -7825 | 0.238 | 81 | 0 | 0
6/17/2025 | 21 | 105371 | 18015 | -17460 | 26158 | 7711 | -7473 | 0.249 | 367 | 16 | 0.044
6/17/2025 | 22 | 99909 | 17334 | -16682 | 24950 | 7419 | -7140 | 0.251 | 933 | 126 | 0.135
6/17/2025 | 23 | 92732 | 15894 | -15290 | 24580 | 6802 | -6544 | 0.266 | 982 | 112 | 0.114
6/17/2025 | 24 | 84928 | 15577 | -14898 | 23446 | 6667 | -6376 | 0.277 | 1219 | 200 | 0.164
6/18/2025 | 1 | 79756 | 15162 | -14162 | 22459 | 6489 | -6061 | 0.283 | 1240 | 309 | 0.249
6/18/2025 | 2 | 75328 | 14077 | -13142 | 21775 | 6025 | -5625 | 0.291 | 1231 | 283 | 0.23
6/18/2025 | 3 | 71738 | 14062 | -13012 | 20800 | 6018 | -5570 | 0.292 | 712 | 90 | 0.126
6/18/2025 | 4 | 69688 | 13894 | -12724 | 20387 | 5946 | -5446 | 0.295 | 631 | 62 | 0.098
6/18/2025 | 5 | 69681 | 14056 | -12812 | 20389 | 6016 | -5483 | 0.295 | 617 | 62 | 0.1
6/18/2025 | 6 | 71692 | 14158 | -13020 | 20648 | 6060 | -5573 | 0.29 | 773 | 164 | 0.212
6/18/2025 | 7 | 75055 | 14966 | -13914 | 18968 | 6405 | -5955 | 0.255 | 987 | 242 | 0.245
6/18/2025 | 8 | 79045 | 13756 | -13125 | 16156 | 5888 | -5618 | 0.206 | 79 | 0 | 0
6/18/2025 | 9 | 82364 | 12672 | -12449 | 15844 | 5424 | -5328 | 0.193 | 0 | 0 | 0
6/18/2025 | 10 | 84685 | 12573 | -12699 | 16645 | 5382 | -5435 | 0.196 | 0 | 0 | 0
6/18/2025 | 11 | 87370 | 12852 | -12970 | 17480 | 5501 | -5551 | 0.2 | 0 | 0 | 0
6/18/2025 | 12 | 90670 | 12480 | -12662 | 18298 | 5341 | -5419 | 0.201 | 0 | 0 | 0
6/18/2025 | 13 | 95331 | 13277 | -13726 | 19177 | 5683 | -5875 | 0.2 | 0 | 0 | 0
6/18/2025 | 14 | 100355 | 14034 | -14731 | 20014 | 6006 | -6305 | 0.198 | 0 | 0 | 0
6/18/2025 | 15 | 105690 | 14595 | -15658 | 20955 | 6247 | -6701 | 0.196 | 0 | 0 | 0
6/18/2025 | 16 | 110280 | 16047 | -17089 | 22201 | 6868 | -7314 | 0.199 | 0 | 0 | 0
6/18/2025 | 17 | 112951 | 18343 | -18642 | 22627 | 7851 | -7979 | 0.2 | 0 | 0 | 0
6/18/2025 | 18 | 115453 | 19800 | -19809 | 23205 | 8475 | -8478 | 0.201 | 304 | 0 | 0
6/18/2025 | 19 | 115625 | 20578 | -20358 | 24775 | 8807 | -8713 | 0.215 | 175 | 0 | 0
6/18/2025 | 20 | 113370 | 20525 | -20013 | 26305 | 8785 | -8566 | 0.233 | 394 | 0 | 0
6/18/2025 | 21 | 107828 | 19856 | -19033 | 25950 | 8498 | -8146 | 0.242 | 418 | 0 | 0
6/18/2025 | 22 | 102081 | 18799 | -17702 | 25496 | 8046 | -7576 | 0.252 | 816 | 40 | 0.049
6/18/2025 | 23 | 94373 | 15867 | -14881 | 25108 | 6791 | -6369 | 0.268 | 276 | 0 | 0
6/18/2025 | 24 | 86856 | 15933 | -14757 | 23955 | 6819 | -6316 | 0.278 | 382 | 0 | 0
6/19/2025 | 1 | 81096 | 14796 | -13590 | 22864 | 6333 | -5816 | 0.284 | 439 | 0 | 0
6/19/2025 | 2 | 75944 | 14972 | -13301 | 22182 | 6408 | -5693 | 0.295 | 368 | 0 | 0
6/19/2025 | 3 | 72041 | 14879 | -12862 | 21376 | 6368 | -5505 | 0.3 | 293 | 0 | 0
6/19/2025 | 4 | 69636 | 14767 | -12490 | 20475 | 6320 | -5346 | 0.298 | 315 | 0 | 0
6/19/2025 | 5 | 69765 | 14432 | -12416 | 20482 | 6177 | -5314 | 0.297 | 350 | 17 | 0.049
6/19/2025 | 6 | 71636 | 14302 | -12554 | 19886 | 6121 | -5373 | 0.281 | 291 | 2 | 0.007
6/19/2025 | 7 | 74448 | 15588 | -13787 | 17987 | 6672 | -5901 | 0.246 | 786 | 166 | 0.211
6/19/2025 | 8 | 77840 | 14121 | -12815 | 15719 | 6044 | -5485 | 0.206 | 62 | 0 | 0
6/19/2025 | 9 | 81708 | 13385 | -12774 | 15840 | 5729 | -5467 | 0.196 | 0 | 0 | 0
6/19/2025 | 10 | 84190 | 12956 | -12860 | 16023 | 5545 | -5504 | 0.191 | 0 | 0 | 0
6/19/2025 | 11 | 86361 | 12933 | -13099 | 16741 | 5536 | -5606 | 0.193 | 0 | 0 | 0
6/19/2025 | 12 | 89471 | 13224 | -13467 | 17294 | 5660 | -5764 | 0.193 | 0 | 0 | 0
6/19/2025 | 13 | 93149 | 13990 | -14195 | 18183 | 5987 | -6075 | 0.195 | 0 | 0 | 0
6/19/2025 | 14 | 97283 | 14472 | -14844 | 18953 | 6194 | -6353 | 0.194 | 0 | 0 | 0
6/19/2025 | 15 | 101307 | 15071 | -15692 | 19308 | 6450 | -6716 | 0.189 | 0 | 0 | 0
6/19/2025 | 16 | 104837 | 15470 | -16421 | 20037 | 6621 | -7028 | 0.189 | 0 | 0 | 0
6/19/2025 | 17 | 107574 | 18308 | -19126 | 20811 | 7836 | -8186 | 0.192 | 0 | 0 | 0
6/19/2025 | 18 | 109557 | 19483 | -19855 | 21545 | 8339 | -8498 | 0.196 | 0 | 0 | 0
6/19/2025 | 19 | 109950 | 20030 | -20147 | 23302 | 8573 | -8623 | 0.212 | 96 | 0 | 0
6/19/2025 | 20 | 107076 | 20918 | -20993 | 24760 | 8953 | -8985 | 0.231 | 303 | 3 | 0.01
6/19/2025 | 21 | 103152 | 20376 | -20502 | 24455 | 8721 | -8775 | 0.237 | 546 | 5 | 0.009
6/19/2025 | 22 | 98405 | 19664 | -19393 | 23321 | 8416 | -8300 | 0.238 | 550 | 31 | 0.056
6/19/2025 | 23 | 91139 | 16823 | -15814 | 23149 | 7200 | -6768 | 0.256 | 237 | 0 | 0
6/19/2025 | 24 | 84674 | 16324 | -15237 | 22303 | 6987 | -6522 | 0.265 | 347 | 0 | 0
6/20/2025 | 1 | 79691 | 14820 | -13964 | 20241 | 6343 | -5977 | 0.256 | 429 | 3 | 0.007
6/20/2025 | 2 | 75689 | 14924 | -14131 | 19049 | 6388 | -6048 | 0.254 | 525 | 27 | 0.051
6/20/2025 | 3 | 72542 | 14520 | -13806 | 18125 | 6214 | -5909 | 0.252 | 795 | 123 | 0.155
6/20/2025 | 4 | 70323 | 14580 | -13788 | 17860 | 6240 | -5901 | 0.256 | 763 | 121 | 0.159
6/20/2025 | 5 | 69955 | 14447 | -13494 | 17498 | 6183 | -5775 | 0.253 | 1223 | 305 | 0.249
6/20/2025 | 6 | 72302 | 14822 | -14056 | 17678 | 6344 | -6016 | 0.246 | 1468 | 339 | 0.231
6/20/2025 | 7 | 75859 | 16624 | -16250 | 16181 | 7115 | -6955 | 0.214 | 926 | 249 | 0.269
6/20/2025 | 8 | 79514 | 15315 | -15519 | 13967 | 6555 | -6642 | 0.175 | 0 | 0 | 0
6/20/2025 | 9 | 82711 | 13991 | -14500 | 14112 | 5988 | -6206 | 0.169 | 0 | 0 | 0
6/20/2025 | 10 | 84112 | 13831 | -14724 | 12731 | 5920 | -6302 | 0.148 | 0 | 0 | 0
6/20/2025 | 11 | 85071 | 13753 | -15120 | 12531 | 5886 | -6471 | 0.143 | 0 | 0 | 0
6/20/2025 | 12 | 86062 | 14036 | -15483 | 12855 | 6007 | -6627 | 0.145 | 0 | 0 | 0
6/20/2025 | 13 | 87944 | 14422 | -16206 | 13037 | 6172 | -6936 | 0.142 | 0 | 0 | 0
6/20/2025 | 14 | 90431 | 14454 | -16463 | 13453 | 6186 | -7046 | 0.142 | 0 | 0 | 0
6/20/2025 | 15 | 92726 | 15456 | -17504 | 13371 | 6615 | -7492 | 0.138 | 0 | 0 | 0
6/20/2025 | 16 | 95398 | 15435 | -17464 | 13402 | 6606 | -7474 | 0.134 | 0 | 0 | 0
6/20/2025 | 17 | 97633 | 17064 | -18788 | 14256 | 7304 | -8041 | 0.141 | 0 | 0 | 0
6/20/2025 | 18 | 99533 | 17737 | -19045 | 14664 | 7592 | -8151 | 0.144 | 0 | 0 | 0
6/20/2025 | 19 | 99890 | 18602 | -19472 | 16546 | 7961 | -8334 | 0.163 | 0 | 0 | 0
6/20/2025 | 20 | 97822 | 19031 | -19701 | 19093 | 8145 | -8432 | 0.194 | 188 | 0 | 0
6/20/2025 | 21 | 94725 | 18737 | -19076 | 19055 | 8020 | -8164 | 0.2 | 497 | 4 | 0.008
6/20/2025 | 22 | 91504 | 18108 | -18386 | 18771 | 7750 | -7869 | 0.204 | 590 | 10 | 0.017
6/20/2025 | 23 | 85926 | 14857 | -14441 | 18234 | 6359 | -6181 | 0.213 | 309 | 0 | 0
6/20/2025 | 24 | 80213 | 14997 | -14334 | 17433 | 6418 | -6135 | 0.219 | 445 | 38 | 0.085
6/21/2025 | 1 | 76389 | 14351 | -13880 | 16900 | 6142 | -5941 | 0.222 | 522 | 27 | 0.052
6/21/2025 | 2 | 72637 | 14834 | -13849 | 16133 | 6349 | -5927 | 0.225 | 542 | 38 | 0.07
6/21/2025 | 3 | 69793 | 14297 | -13620 | 15340 | 6119 | -5830 | 0.222 | 583 | 39 | 0.067
6/21/2025 | 4 | 68355 | 12706 | -12185 | 14671 | 5438 | -5215 | 0.216 | 558 | 30 | 0.054
6/21/2025 | 5 | 67809 | 12662 | -12024 | 14346 | 5419 | -5146 | 0.214 | 635 | 64 | 0.101
6/21/2025 | 6 | 67947 | 13033 | -12276 | 14252 | 5578 | -5254 | 0.212 | 607 | 62 | 0.102
6/21/2025 | 7 | 69148 | 13884 | -12926 | 12972 | 5942 | -5532 | 0.191 | 607 | 126 | 0.208
6/21/2025 | 8 | 71855 | 12548 | -12437 | 10747 | 5371 | -5323 | 0.15 | 0 | 0 | 0
6/21/2025 | 9 | 73965 | 11553 | -11867 | 10405 | 4944 | -5079 | 0.139 | 0 | 0 | 0
6/21/2025 | 10 | 74504 | 11504 | -11669 | 10399 | 4924 | -4995 | 0.139 | 0 | 0 | 0
6/21/2025 | 11 | 75251 | 11251 | -11736 | 10377 | 4816 | -5023 | 0.136 | 0 | 0 | 0
6/21/2025 | 12 | 76078 | 11381 | -12110 | 10631 | 4871 | -5183 | 0.137 | 0 | 0 | 0
6/21/2025 | 13 | 76722 | 11772 | -12394 | 10934 | 5038 | -5305 | 0.14 | 0 | 0 | 0
6/21/2025 | 14 | 77672 | 12064 | -12798 | 11206 | 5163 | -5478 | 0.142 | 0 | 0 | 0
6/21/2025 | 15 | 79413 | 12482 | -13414 | 11897 | 5342 | -5741 | 0.147 | 0 | 0 | 0
6/21/2025 | 16 | 82486 | 12807 | -13972 | 12057 | 5481 | -5980 | 0.142 | 0 | 0 | 0
6/21/2025 | 17 | 85827 | 13096 | -14304 | 12476 | 5606 | -6122 | 0.141 | 0 | 0 | 0
6/21/2025 | 18 | 89105 | 13854 | -14723 | 13273 | 5930 | -6302 | 0.146 | 0 | 0 | 0
6/21/2025 | 19 | 90309 | 14487 | -14843 | 15351 | 6200 | -6353 | 0.169 | 245 | 0 | 0
6/21/2025 | 20 | 88775 | 14634 | -14876 | 17523 | 6263 | -6367 | 0.197 | 1119 | 175 | 0.156
6/21/2025 | 21 | 86783 | 15232 | -14997 | 17360 | 6519 | -6419 | 0.201 | 811 | 35 | 0.043
6/21/2025 | 22 | 83894 | 14960 | -13898 | 16917 | 6403 | -5948 | 0.204 | 760 | 48 | 0.063
6/21/2025 | 23 | 79427 | 13367 | -11971 | 16431 | 5721 | -5124 | 0.211 | 681 | 14 | 0.021
6/21/2025 | 24 | 74874 | 13463 | -11966 | 15887 | 5762 | -5121 | 0.216 | 680 | 54 | 0.079
6/22/2025 | 1 | 70971 | 13392 | -12036 | 15792 | 5732 | -5151 | 0.226 | 1228 | 258 | 0.21
6/22/2025 | 2 | 67857 | 13452 | -11948 | 15676 | 5758 | -5114 | 0.235 | 1149 | 281 | 0.245
6/22/2025 | 3 | 65294 | 13344 | -11843 | 15337 | 5711 | -5069 | 0.239 | 1471 | 385 | 0.262
6/22/2025 | 4 | 63680 | 13313 | -11707 | 15039 | 5698 | -5010 | 0.241 | 1352 | 369 | 0.273
6/22/2025 | 5 | 62990 | 13195 | -11681 | 14771 | 5647 | -5000 | 0.239 | 1042 | 186 | 0.179
6/22/2025 | 6 | 62738 | 13236 | -11654 | 14874 | 5665 | -4988 | 0.242 | 992 | 210 | 0.212
6/22/2025 | 7 | 63763 | 12522 | -11298 | 13437 | 5359 | -4836 | 0.215 | 1117 | 290 | 0.26
6/22/2025 | 8 | 65709 | 10816 | -10524 | 10692 | 4629 | -4504 | 0.164 | 0 | 0 | 0
6/22/2025 | 9 | 66568 | 10482 | -10190 | 10181 | 4486 | -4361 | 0.154 | 0 | 0 | 0
6/22/2025 | 10 | 67072 | 10241 | -9825 | 10008 | 4383 | -4205 | 0.151 | 0 | 0 | 0
6/22/2025 | 11 | 67302 | 10624 | -10341 | 10037 | 4547 | -4426 | 0.15 | 0 | 0 | 0
6/22/2025 | 12 | 68748 | 10590 | -10292 | 10217 | 4533 | -4405 | 0.15 | 0 | 0 | 0
6/22/2025 | 13 | 70465 | 10757 | -10602 | 10328 | 4604 | -4538 | 0.147 | 0 | 0 | 0
6/22/2025 | 14 | 72938 | 10853 | -11153 | 10584 | 4646 | -4774 | 0.144 | 0 | 0 | 0
6/22/2025 | 15 | 75924 | 10995 | -11869 | 10712 | 4706 | -5080 | 0.138 | 0 | 0 | 0
6/22/2025 | 16 | 80075 | 10737 | -11966 | 11364 | 4595 | -5122 | 0.137 | 0 | 0 | 0
6/22/2025 | 17 | 85118 | 10461 | -12079 | 11814 | 4478 | -5170 | 0.133 | 0 | 0 | 0
6/22/2025 | 18 | 89475 | 10968 | -12237 | 13018 | 4694 | -5237 | 0.141 | 0 | 0 | 0
6/22/2025 | 19 | 92042 | 11513 | -12427 | 15235 | 4928 | -5318 | 0.163 | 903 | 142 | 0.157
6/22/2025 | 20 | 90947 | 11784 | -12723 | 17413 | 5043 | -5445 | 0.189 | 1811 | 370 | 0.204
6/22/2025 | 21 | 89379 | 11831 | -12868 | 18326 | 5064 | -5507 | 0.202 | 1992 | 521 | 0.262
6/22/2025 | 22 | 86649 | 11695 | -12190 | 18243 | 5006 | -5218 | 0.209 | 2034 | 493 | 0.242
6/22/2025 | 23 | 80567 | 11309 | -11208 | 17751 | 4840 | -4797 | 0.221 | 1307 | 191 | 0.146
6/22/2025 | 24 | 74963 | 11981 | -11671 | 17424 | 5128 | -4995 | 0.233 | 1314 | 208 | 0.158
6/23/2025 | 1 | 71233 | 13039 | -12380 | 17983 | 5581 | -5298 | 0.254 | 980 | 204 | 0.208
6/23/2025 | 2 | 67388 | 13741 | -12654 | 17877 | 5881 | -5416 | 0.268 | 1398 | 302 | 0.216
6/23/2025 | 3 | 64647 | 14585 | -13071 | 17399 | 6242 | -5594 | 0.273 | 1112 | 208 | 0.187
6/23/2025 | 4 | 63592 | 14264 | -12543 | 17593 | 6105 | -5368 | 0.281 | 871 | 151 | 0.173
6/23/2025 | 5 | 64184 | 13982 | -11978 | 17836 | 5984 | -5127 | 0.282 | 922 | 190 | 0.206
6/23/2025 | 6 | 66780 | 14044 | -11942 | 18033 | 6011 | -5111 | 0.275 | 1279 | 244 | 0.191
6/23/2025 | 7 | 70850 | 15417 | -13648 | 17465 | 6599 | -5841 | 0.251 | 1928 | 459 | 0.238
6/23/2025 | 8 | 74551 | 14563 | -13414 | 15369 | 6233 | -5741 | 0.21 | 379 | 43 | 0.113
6/23/2025 | 9 | 76452 | 14006 | -12848 | 14623 | 5995 | -5498 | 0.195 | 0 | 0 | 0
6/23/2025 | 10 | 77555 | 13593 | -12218 | 14732 | 5818 | -5230 | 0.194 | 0 | 0 | 0
6/23/2025 | 11 | 78224 | 12910 | -11888 | 14568 | 5526 | -5088 | 0.189 | 0 | 0 | 0
6/23/2025 | 12 | 79329 | 13015 | -12058 | 14582 | 5570 | -5160 | 0.187 | 0 | 0 | 0
6/23/2025 | 13 | 80475 | 13235 | -12266 | 14627 | 5665 | -5250 | 0.185 | 0 | 0 | 0
6/23/2025 | 14 | 83283 | 13634 | -12639 | 14953 | 5835 | -5409 | 0.182 | 0 | 0 | 0
6/23/2025 | 15 | 86829 | 14104 | -13252 | 15314 | 6036 | -5672 | 0.179 | 0 | 0 | 0
6/23/2025 | 16 | 91232 | 13990 | -13550 | 16016 | 5988 | -5799 | 0.177 | 0 | 0 | 0
6/23/2025 | 17 | 94676 | 15279 | -15130 | 16728 | 6540 | -6476 | 0.177 | 0 | 0 | 0
6/23/2025 | 18 | 98506 | 16010 | -15791 | 18338 | 6852 | -6759 | 0.187 | 0 | 0 | 0
6/23/2025 | 19 | 100523 | 15371 | -15530 | 21052 | 6579 | -6647 | 0.209 | 416 | 1 | 0.002
6/23/2025 | 20 | 99088 | 15324 | -15451 | 22559 | 6558 | -6613 | 0.227 | 1277 | 137 | 0.107
6/23/2025 | 21 | 96157 | 14816 | -14914 | 22924 | 6341 | -6383 | 0.238 | 1108 | 154 | 0.139
6/23/2025 | 22 | 92799 | 14163 | -14525 | 22672 | 6062 | -6216 | 0.244 | 871 | 32 | 0.037
6/23/2025 | 23 | 86325 | 11105 | -11111 | 22064 | 4753 | -4755 | 0.256 | 1561 | 263 | 0.168
6/23/2025 | 24 | 79944 | 10378 | -10467 | 21810 | 4442 | -4480 | 0.273 | 1978 | 458 | 0.232
6/24/2025 | 1 | 74541 | 11284 | -10540 | 21209 | 4830 | -4511 | 0.286 | 1062 | 249 | 0.234
6/24/2025 | 2 | 70964 | 10899 | -10111 | 20672 | 4665 | -4328 | 0.293 | 1438 | 343 | 0.239
6/24/2025 | 3 | 68086 | 11010 | -10262 | 20125 | 4712 | -4392 | 0.297 | 1669 | 415 | 0.249
6/24/2025 | 4 | 67201 | 10651 | -10235 | 20175 | 4559 | -4380 | 0.301 | 1475 | 306 | 0.207
6/24/2025 | 5 | 67743 | 10601 | -10257 | 20470 | 4537 | -4390 | 0.303 | 1528 | 306 | 0.2
6/24/2025 | 6 | 69676 | 10861 | -10507 | 21146 | 4648 | -4497 | 0.304 | 1324 | 260 | 0.196
6/24/2025 | 7 | 72968 | 13251 | -12929 | 19715 | 5671 | -5534 | 0.271 | 863 | 77 | 0.089
6/24/2025 | 8 | 76466 | 12323 | -12229 | 17085 | 5274 | -5234 | 0.224 | 90 | 0 | 0
6/24/2025 | 9 | 79077 | 12164 | -11982 | 16046 | 5206 | -5129 | 0.203 | 0 | 0 | 0
6/24/2025 | 10 | 80118 | 11793 | -12105 | 16121 | 5048 | -5181 | 0.2 | 0 | 0 | 0
6/24/2025 | 11 | 80952 | 12343 | -12670 | 16150 | 5283 | -5423 | 0.199 | 0 | 0 | 0
6/24/2025 | 12 | 81986 | 12790 | -13119 | 15959 | 5474 | -5615 | 0.194 | 0 | 0 | 0
6/24/2025 | 13 | 84698 | 12322 | -12694 | 16226 | 5273 | -5433 | 0.191 | 0 | 0 | 0
6/24/2025 | 14 | 87530 | 12728 | -13350 | 16525 | 5447 | -5714 | 0.187 | 0 | 0 | 0
6/24/2025 | 15 | 90579 | 13831 | -14685 | 16981 | 5920 | -6285 | 0.185 | 0 | 0 | 0
6/24/2025 | 16 | 94593 | 13793 | -14774 | 17654 | 5904 | -6323 | 0.184 | 0 | 0 | 0
6/24/2025 | 17 | 97979 | 15534 | -16464 | 18224 | 6648 | -7047 | 0.184 | 0 | 0 | 0
6/24/2025 | 18 | 100317 | 15864 | -16747 | 19278 | 6790 | -7168 | 0.19 | 0 | 0 | 0
6/24/2025 | 19 | 101543 | 16886 | -17350 | 21354 | 7227 | -7426 | 0.209 | 783 | 70 | 0.089
6/24/2025 | 20 | 98797 | 17347 | -17359 | 22897 | 7425 | -7430 | 0.232 | 958 | 91 | 0.095
6/24/2025 | 21 | 95582 | 17317 | -16808 | 23098 | 7412 | -7194 | 0.243 | 1138 | 118 | 0.104
6/24/2025 | 22 | 91798 | 17334 | -16380 | 22280 | 7419 | -7010 | 0.245 | 1229 | 218 | 0.177
6/24/2025 | 23 | 84857 | 14130 | -12379 | 21536 | 6048 | -5298 | 0.257 | 1374 | 239 | 0.174
6/24/2025 | 24 | 78441 | 13591 | -11775 | 21245 | 5817 | -5040 | 0.274 | 944 | 166 | 0.176
6/25/2025 | 1 | 73678 | 15385 | -13450 | 21326 | 6585 | -5757 | 0.293 | 856 | 197 | 0.23
6/25/2025 | 2 | 70063 | 15284 | -13359 | 20502 | 6542 | -5718 | 0.296 | 750 | 150 | 0.2
6/25/2025 | 3 | 67400 | 14871 | -13070 | 20003 | 6365 | -5594 | 0.3 | 760 | 120 | 0.158
6/25/2025 | 4 | 66052 | 14519 | -12838 | 19101 | 6214 | -5495 | 0.293 | 903 | 180 | 0.199
6/25/2025 | 5 | 65996 | 14930 | -12847 | 19152 | 6390 | -5499 | 0.294 | 794 | 158 | 0.199
6/25/2025 | 6 | 68316 | 14843 | -12886 | 19554 | 6353 | -5515 | 0.29 | 674 | 89 | 0.132
6/25/2025 | 7 | 72170 | 14842 | -13491 | 18934 | 6352 | -5774 | 0.265 | 1864 | 463 | 0.248
6/25/2025 | 8 | 75984 | 13026 | -12253 | 16477 | 5575 | -5244 | 0.219 | 524 | 66 | 0.126
6/25/2025 | 9 | 78770 | 12234 | -12133 | 15325 | 5236 | -5193 | 0.195 | 16 | 0 | 0
6/25/2025 | 10 | 80246 | 11671 | -11937 | 15560 | 4995 | -5109 | 0.193 | 0 | 0 | 0
6/25/2025 | 11 | 81334 | 11720 | -12301 | 15265 | 5016 | -5265 | 0.186 | 0 | 0 | 0
6/25/2025 | 12 | 82998 | 12123 | -12913 | 15706 | 5188 | -5527 | 0.187 | 0 | 0 | 0
6/25/2025 | 13 | 85071 | 12736 | -13396 | 15903 | 5451 | -5734 | 0.185 | 0 | 0 | 0
6/25/2025 | 14 | 88969 | 12572 | -13720 | 16064 | 5381 | -5872 | 0.177 | 0 | 0 | 0
6/25/2025 | 15 | 92897 | 13157 | -14636 | 16528 | 5631 | -6264 | 0.174 | 0 | 0 | 0
6/25/2025 | 16 | 97036 | 13444 | -14996 | 17582 | 5754 | -6418 | 0.177 | 0 | 0 | 0
6/25/2025 | 17 | 100396 | 15600 | -16694 | 18357 | 6677 | -7145 | 0.18 | 0 | 0 | 0
6/25/2025 | 18 | 103087 | 16398 | -17071 | 19425 | 7018 | -7306 | 0.187 | 150 | 0 | 0
6/25/2025 | 19 | 103713 | 16664 | -17132 | 21875 | 7132 | -7332 | 0.21 | 543 | 4 | 0.007
6/25/2025 | 20 | 102393 | 16412 | -16820 | 23421 | 7024 | -7199 | 0.228 | 749 | 171 | 0.228
6/25/2025 | 21 | 98590 | 16149 | -16491 | 23862 | 6912 | -7058 | 0.241 | 930 | 125 | 0.134
6/25/2025 | 22 | 93956 | 16452 | -16338 | 23248 | 7042 | -6992 | 0.248 | 1060 | 110 | 0.104
6/25/2025 | 23 | 86508 | 14933 | -13911 | 22020 | 6392 | -5954 | 0.257 | 1089 | 126 | 0.116
6/25/2025 | 24 | 79364 | 15034 | -13443 | 20727 | 6434 | -5754 | 0.264 | 1338 | 239 | 0.179
6/26/2025 | 1 | 74718 | 15602 | -13890 | 19795 | 6678 | -5945 | 0.269 | 1060 | 185 | 0.175
6/26/2025 | 2 | 71502 | 15077 | -13762 | 19238 | 6453 | -5890 | 0.272 | 1136 | 209 | 0.184
6/26/2025 | 3 | 69227 | 14607 | -13732 | 19118 | 6252 | -5877 | 0.278 | 740 | 78 | 0.105
6/26/2025 | 4 | 67878 | 14346 | -13697 | 18940 | 6140 | -5862 | 0.28 | 547 | 6 | 0.011
6/26/2025 | 5 | 67755 | 14754 | -13706 | 18850 | 6314 | -5866 | 0.28 | 677 | 0 | 0
6/26/2025 | 6 | 69965 | 14714 | -13693 | 19621 | 6298 | -5860 | 0.283 | 462 | 0 | 0
6/26/2025 | 7 | 73593 | 14019 | -13241 | 18242 | 6000 | -5667 | 0.25 | 941 | 125 | 0.133
6/26/2025 | 8 | 77350 | 12589 | -12368 | 16174 | 5388 | -5293 | 0.21 | 338 | 2 | 0.006
6/26/2025 | 9 | 79750 | 12178 | -12123 | 15722 | 5212 | -5188 | 0.197 | 0 | 0 | 0
6/26/2025 | 10 | 80992 | 11862 | -11901 | 15965 | 5077 | -5094 | 0.197 | 0 | 0 | 0
6/26/2025 | 11 | 82562 | 12437 | -12500 | 16521 | 5323 | -5350 | 0.2 | 0 | 0 | 0
6/26/2025 | 12 | 85242 | 11834 | -12136 | 16754 | 5065 | -5194 | 0.196 | 0 | 0 | 0
6/26/2025 | 13 | 88000 | 12009 | -12398 | 17193 | 5140 | -5307 | 0.194 | 0 | 0 | 0
6/26/2025 | 14 | 91659 | 12188 | -12659 | 17728 | 5216 | -5418 | 0.192 | 0 | 0 | 0
6/26/2025 | 15 | 96096 | 12678 | -13408 | 18471 | 5426 | -5738 | 0.19 | 0 | 0 | 0
6/26/2025 | 16 | 100017 | 13504 | -14444 | 18942 | 5780 | -6182 | 0.187 | 0 | 0 | 0
6/26/2025 | 17 | 102614 | 15293 | -16028 | 19436 | 6545 | -6860 | 0.188 | 0 | 0 | 0
6/26/2025 | 18 | 105612 | 15943 | -16558 | 20747 | 6824 | -7087 | 0.195 | 0 | 0 | 0
6/26/2025 | 19 | 106290 | 17417 | -17796 | 23359 | 7454 | -7617 | 0.219 | 343 | 0 | 0
6/26/2025 | 20 | 104297 | 17392 | -17288 | 24672 | 7444 | -7399 | 0.237 | 414 | 0 | 0
6/26/2025 | 21 | 99970 | 16787 | -16184 | 24385 | 7185 | -6927 | 0.245 | 457 | 31 | 0.068
6/26/2025 | 22 | 95242 | 16003 | -15132 | 23870 | 6849 | -6477 | 0.252 | 872 | 168 | 0.193
6/26/2025 | 23 | 88512 | 15158 | -13983 | 23452 | 6488 | -5985 | 0.267 | 894 | 157 | 0.176
6/26/2025 | 24 | 81858 | 14762 | -13382 | 23029 | 6318 | -5727 | 0.284 | 978 | 164 | 0.168
6/27/2025 | 1 | 77045 | 14871 | -13776 | 22199 | 6365 | -5896 | 0.29 | 530 | 8 | 0.015
6/27/2025 | 2 | 72821 | 14861 | -13355 | 21742 | 6361 | -5716 | 0.301 | 553 | 15 | 0.027
6/27/2025 | 3 | 69744 | 14900 | -13244 | 21398 | 6377 | -5669 | 0.31 | 523 | 31 | 0.059
6/27/2025 | 4 | 67812 | 15079 | -13209 | 20942 | 6454 | -5653 | 0.312 | 448 | 10 | 0.022
6/27/2025 | 5 | 67973 | 15369 | -13397 | 21211 | 6578 | -5734 | 0.315 | 469 | 51 | 0.109
6/27/2025 | 6 | 69910 | 15719 | -13736 | 21401 | 6728 | -5879 | 0.309 | 555 | 84 | 0.151
6/27/2025 | 7 | 73423 | 15381 | -13971 | 20003 | 6583 | -5980 | 0.275 | 1191 | 274 | 0.23
6/27/2025 | 8 | 76702 | 13726 | -12512 | 17333 | 5875 | -5355 | 0.229 | 245 | 0 | 0
6/27/2025 | 9 | 80218 | 13646 | -12588 | 17139 | 5840 | -5387 | 0.216 | 0 | 0 | 0
6/27/2025 | 10 | 82440 | 13335 | -12690 | 17278 | 5708 | -5431 | 0.211 | 0 | 0 | 0
6/27/2025 | 11 | 84825 | 13405 | -12914 | 16988 | 5737 | -5527 | 0.202 | 0 | 0 | 0
6/27/2025 | 12 | 87159 | 13376 | -12850 | 17699 | 5725 | -5500 | 0.204 | 0 | 0 | 0
6/27/2025 | 13 | 90638 | 13409 | -13018 | 18035 | 5739 | -5572 | 0.2 | 0 | 0 | 0
6/27/2025 | 14 | 94798 | 13943 | -13826 | 18424 | 5967 | -5918 | 0.195 | 0 | 0 | 0
6/27/2025 | 15 | 99168 | 14396 | -14724 | 19034 | 6162 | -6302 | 0.191 | 0 | 0 | 0
6/27/2025 | 16 | 102850 | 15077 | -15379 | 19966 | 6453 | -6582 | 0.193 | 0 | 0 | 0
6/27/2025 | 17 | 105206 | 17154 | -17022 | 20619 | 7342 | -7286 | 0.196 | 0 | 0 | 0
6/27/2025 | 18 | 107927 | 18368 | -17920 | 22240 | 7862 | -7670 | 0.207 | 83 | 0 | 0
6/27/2025 | 19 | 108707 | 19021 | -18083 | 24346 | 8141 | -7740 | 0.226 | 457 | 0 | 0
6/27/2025 | 20 | 105826 | 19486 | -18400 | 25771 | 8340 | -7875 | 0.245 | 611 | 0 | 0
6/27/2025 | 21 | 102447 | 17702 | -17208 | 25856 | 7576 | -7365 | 0.253 | 491 | 0 | 0
6/27/2025 | 22 | 97639 | 17349 | -16304 | 25400 | 7425 | -6978 | 0.262 | 722 | 31 | 0.043
6/27/2025 | 23 | 90304 | 17085 | -15430 | 24716 | 7312 | -6604 | 0.276 | 753 | 45 | 0.06
6/27/2025 | 24 | 84090 | 16108 | -14496 | 23876 | 6894 | -6204 | 0.287 | 850 | 42 | 0.049
6/28/2025 | 1 | 78442 | 15858 | -13852 | 23008 | 6787 | -5929 | 0.297 | 829 | 106 | 0.128
6/28/2025 | 2 | 74431 | 15733 | -13797 | 22689 | 6734 | -5905 | 0.308 | 728 | 125 | 0.172
6/28/2025 | 3 | 70668 | 15734 | -13648 | 21429 | 6734 | -5841 | 0.307 | 900 | 189 | 0.21
6/28/2025 | 4 | 68556 | 15468 | -13421 | 20536 | 6620 | -5744 | 0.303 | 805 | 150 | 0.186
6/28/2025 | 5 | 67648 | 15186 | -13210 | 20293 | 6500 | -5654 | 0.304 | 785 | 147 | 0.187
6/28/2025 | 6 | 67551 | 15219 | -13567 | 19905 | 6514 | -5807 | 0.298 | 585 | 70 | 0.12
6/28/2025 | 7 | 69490 | 15829 | -14806 | 17697 | 6775 | -6337 | 0.257 | 485 | 44 | 0.091
6/28/2025 | 8 | 72416 | 13800 | -13286 | 15331 | 5907 | -5686 | 0.213 | 98 | 0 | 0
6/28/2025 | 9 | 74917 | 13107 | -12598 | 14565 | 5610 | -5392 | 0.196 | 0 | 0 | 0
6/28/2025 | 10 | 77754 | 12108 | -12070 | 14911 | 5182 | -5166 | 0.192 | 0 | 0 | 0
6/28/2025 | 11 | 81875 | 12704 | -12998 | 15887 | 5437 | -5563 | 0.193 | 0 | 0 | 0
6/28/2025 | 12 | 85258 | 12259 | -12507 | 16798 | 5247 | -5353 | 0.196 | 0 | 0 | 0
6/28/2025 | 13 | 88879 | 12526 | -12811 | 17436 | 5361 | -5483 | 0.195 | 0 | 0 | 0
6/28/2025 | 14 | 92842 | 12817 | -13088 | 18389 | 5486 | -5602 | 0.197 | 0 | 0 | 0
6/28/2025 | 15 | 97320 | 13486 | -13643 | 19877 | 5772 | -5839 | 0.204 | 0 | 0 | 0
6/28/2025 | 16 | 101837 | 14774 | -15124 | 21155 | 6323 | -6473 | 0.207 | 0 | 0 | 0
6/28/2025 | 17 | 105012 | 16578 | -16421 | 21756 | 7095 | -7028 | 0.208 | 0 | 0 | 0
6/28/2025 | 18 | 108515 | 16477 | -16264 | 23170 | 7052 | -6961 | 0.214 | 1 | 0 | 0
6/28/2025 | 19 | 110371 | 16986 | -17148 | 25649 | 7270 | -7340 | 0.232 | 169 | 0 | 0
6/28/2025 | 20 | 107872 | 17083 | -17034 | 26860 | 7312 | -7291 | 0.249 | 524 | 16 | 0.031
6/28/2025 | 21 | 102526 | 16428 | -15530 | 27108 | 7031 | -6647 | 0.266 | 1244 | 226 | 0.182
6/28/2025 | 22 | 97485 | 15525 | -14339 | 26712 | 6645 | -6137 | 0.276 | 1583 | 447 | 0.282
6/28/2025 | 23 | 90744 | 14046 | -12453 | 26740 | 6012 | -5330 | 0.297 | 1673 | 656 | 0.392
6/28/2025 | 24 | 84302 | 14086 | -12493 | 26551 | 6029 | -5347 | 0.317 | 1619 | 561 | 0.347
6/29/2025 | 1 | 78895 | 11546 | -10305 | 24832 | 4942 | -4411 | 0.316 | 1783 | 648 | 0.363
6/29/2025 | 2 | 73693 | 11858 | -10229 | 23980 | 5075 | -4378 | 0.328 | 1472 | 392 | 0.266
6/29/2025 | 3 | 70136 | 11888 | -10032 | 22820 | 5088 | -4294 | 0.328 | 1184 | 255 | 0.215
6/29/2025 | 4 | 67570 | 12007 | -10146 | 21937 | 5139 | -4342 | 0.327 | 973 | 190 | 0.195
6/29/2025 | 5 | 66389 | 11898 | -9901 | 22148 | 5092 | -4238 | 0.336 | 1005 | 212 | 0.211
6/29/2025 | 6 | 65875 | 11826 | -9953 | 21715 | 5062 | -4260 | 0.332 | 740 | 94 | 0.127
6/29/2025 | 7 | 66606 | 12077 | -10732 | 19277 | 5169 | -4593 | 0.292 | 642 | 34 | 0.053
6/29/2025 | 8 | 69204 | 10700 | -9813 | 16241 | 4579 | -4200 | 0.237 | 112 | 2 | 0.018
6/29/2025 | 9 | 72970 | 10054 | -9450 | 15692 | 4303 | -4044 | 0.217 | 0 | 0 | 0
6/29/2025 | 10 | 75963 | 10103 | -9620 | 16304 | 4324 | -4118 | 0.216 | 0 | 0 | 0
6/29/2025 | 11 | 79338 | 10115 | -9689 | 16907 | 4330 | -4147 | 0.214 | 0 | 0 | 0
6/29/2025 | 12 | 83618 | 10294 | -9889 | 17582 | 4406 | -4232 | 0.211 | 0 | 0 | 0
6/29/2025 | 13 | 88442 | 10786 | -10436 | 18796 | 4616 | -4467 | 0.213 | 0 | 0 | 0
6/29/2025 | 14 | 93589 | 11144 | -11095 | 19632 | 4770 | -4748 | 0.21 | 0 | 0 | 0
6/29/2025 | 15 | 98832 | 11944 | -11940 | 21074 | 5112 | -5110 | 0.213 | 0 | 0 | 0
6/29/2025 | 16 | 103897 | 13324 | -13547 | 21801 | 5703 | -5798 | 0.209 | 0 | 0 | 0
6/29/2025 | 17 | 108895 | 14060 | -14475 | 23006 | 6018 | -6195 | 0.21 | 0 | 0 | 0
6/29/2025 | 18 | 112781 | 14248 | -14675 | 24742 | 6098 | -6281 | 0.219 | 622 | 18 | 0.029
6/29/2025 | 19 | 114770 | 15561 | -16149 | 27043 | 6660 | -6912 | 0.235 | 1061 | 37 | 0.035
6/29/2025 | 20 | 112445 | 15423 | -15527 | 28398 | 6601 | -6646 | 0.252 | 1376 | 266 | 0.193
6/29/2025 | 21 | 107966 | 14179 | -14121 | 28606 | 6069 | -6044 | 0.265 | 1922 | 556 | 0.289
6/29/2025 | 22 | 102179 | 12822 | -12603 | 28433 | 5488 | -5394 | 0.279 | 1657 | 462 | 0.279
6/29/2025 | 23 | 94613 | 11092 | -10124 | 28624 | 4748 | -4333 | 0.304 | 1277 | 302 | 0.236
6/29/2025 | 24 | 86494 | 11460 | -10026 | 27812 | 4905 | -4291 | 0.323 | 1008 | 102 | 0.101
6/30/2025 | 1 | 80389 | 11383 | -10038 | 26947 | 4872 | -4296 | 0.337 | 956 | 97 | 0.101
6/30/2025 | 2 | 75459 | 11401 | -9772 | 25214 | 4879 | -4183 | 0.336 | 732 | 69 | 0.094
6/30/2025 | 3 | 71931 | 11564 | -9702 | 24467 | 4949 | -4153 | 0.342 | 602 | 52 | 0.086
6/30/2025 | 4 | 70029 | 11739 | -9686 | 24307 | 5024 | -4145 | 0.349 | 767 | 106 | 0.138
6/30/2025 | 5 | 70236 | 11533 | -9668 | 24174 | 4936 | -4138 | 0.346 | 982 | 141 | 0.144
6/30/2025 | 6 | 71997 | 11728 | -9931 | 24266 | 5020 | -4251 | 0.339 | 742 | 45 | 0.061
6/30/2025 | 7 | 75641 | 16150 | -14666 | 22284 | 6912 | -6277 | 0.297 | 895 | 104 | 0.116
6/30/2025 | 8 | 79934 | 15600 | -14516 | 19726 | 6677 | -6213 | 0.249 | 284 | 16 | 0.056
6/30/2025 | 9 | 82962 | 15542 | -14396 | 19474 | 6652 | -6162 | 0.237 | 14 | 0 | 0
6/30/2025 | 10 | 86859 | 15220 | -14513 | 20017 | 6514 | -6211 | 0.232 | 0 | 0 | 0
6/30/2025 | 11 | 90661 | 15642 | -14908 | 20740 | 6695 | -6381 | 0.23 | 0 | 0 | 0
6/30/2025 | 12 | 95478 | 15430 | -14997 | 21386 | 6604 | -6419 | 0.225 | 0 | 0 | 0
6/30/2025 | 13 | 101324 | 16300 | -16108 | 22669 | 6976 | -6894 | 0.224 | 0 | 0 | 0
6/30/2025 | 14 | 107144 | 16808 | -16876 | 24143 | 7194 | -7223 | 0.225 | 0 | 0 | 0
6/30/2025 | 15 | 111743 | 18007 | -18345 | 25620 | 7707 | -7852 | 0.229 | 0 | 0 | 0
6/30/2025 | 16 | 116419 | 19402 | -19921 | 26665 | 8304 | -8526 | 0.228 | 0 | 0 | 0
6/30/2025 | 17 | 119665 | 20225 | -20391 | 27194 | 8656 | -8727 | 0.227 | 0 | 0 | 0
6/30/2025 | 18 | 123372 | 20835 | -21603 | 28333 | 8917 | -9246 | 0.228 | 9 | 0 | 0
6/30/2025 | 19 | 123794 | 20544 | -20935 | 29415 | 8793 | -8960 | 0.237 | 495 | 0 | 0
6/30/2025 | 20 | 120361 | 20753 | -20759 | 30690 | 8882 | -8885 | 0.255 | 993 | 68 | 0.068
6/30/2025 | 21 | 114744 | 20513 | -20046 | 30840 | 8780 | -8580 | 0.269 | 1103 | 183 | 0.166
6/30/2025 | 22 | 107787 | 18634 | -17912 | 29833 | 7976 | -7666 | 0.278 | 1474 | 276 | 0.187
6/30/2025 | 23 | 99555 | 12206 | -11011 | 29210 | 5224 | -4713 | 0.295 | 702 | 79 | 0.113
6/30/2025 | 24 | 90713 | 12148 | -10643 | 28380 | 5200 | -4555 | 0.315 | 707 | 32 | 0.045