## KEY
Average Emissions Rate Calculation
Background:
The CAISO is publishing this metric of an average emissions rate (AER) based on the discussion in the GHG working groups. CAISO discussed the metric at the November 27, 2023 GHG Coordination Working Group. A brief explanation of the methodology is included below:
Methodology:
1) Which resources are reflected in this example AER metric (all schedules are from the 5-minute market)
- All supply resources are included
- All demand response resources are excluded
- All energy storage resources are included (emissions rate used is 0 MTCO2e/MWh)
- Resources that were attributed to serve California are included
2) The AER measures all schedules ie. The total dispatach of the resources and not relative to WEIM base schedule
3) Bilateral transactions are included (emissions rate used is 0.428 MTCO2e/MWh) unless they are resource specific.
4) CAISO filled in missing heat rate and emissions rate data by using wtd averages from existing data
Key
TRADE_DT | Trade date of the reported data in MM/DD/YYYY format
TRADE_HR | Trade hour of the reported data. Data is reported as the "hour-ending", e.g. TRADE_HR = 2 is for the hour-ending 1:59:59AM Pacific time
GEN_MWH | MWh of electricity generation in the WEIM area* (including CAISO)
IMP_MWH | MWh of electricity imports into the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
EXP_MWH | MWh of electricity exports from the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
GEN_GHG | Greenhouse gas emissions in MTCO2e of electricity generation in the WEIM area
IMP_GHG | Greenhouse gas emissions in MTCO2e of electricity imports into the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
EXP_GHG | Greenhouse gas emissions in MTCO2e of electricity exports from the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
AVG_EM_RATE | Average emissions rate calculated as columns G through I divided by columns C through E
ATTR_MWH | MWh of WEIM transfers into California which, by definition, is equal to the sum of the GHG attributions
ATTR_GHG | Greenhouse gas emissions in MTCO2e of WEIM transfers into California (resource-specific)
ATTR_AVG_EM_RATE | Average emissions rate of WEIM transfers into California
CAISO PUBLIC

## AER_SUMMARY
TRADE_DT | TRADE_HR | GEN_MWH | IMP_MWH | EXP_MWH | GEN_GHG | IMP_GHG | EXP_GHG | AVG_EM_RATE | ATTR_MWH | ATTR_GHG | ATTR_AVG_EM_RATE
3/1/2025 | 1 | 67252 | 9869 | -9852 | 20512 | 4224 | -4217 | 0.305 | 1580 | 245 | 0.155
3/1/2025 | 2 | 65706 | 9497 | -9487 | 20212 | 4065 | -4061 | 0.308 | 1587 | 244 | 0.154
3/1/2025 | 3 | 64788 | 9324 | -9347 | 19914 | 3991 | -4001 | 0.307 | 1373 | 167 | 0.122
3/1/2025 | 4 | 64548 | 8897 | -8878 | 19629 | 3808 | -3799 | 0.304 | 1139 | 97 | 0.085
3/1/2025 | 5 | 65710 | 8942 | -8856 | 19620 | 3827 | -3790 | 0.299 | 1080 | 68 | 0.063
3/1/2025 | 6 | 68147 | 9939 | -9775 | 20342 | 4254 | -4184 | 0.299 | 984 | 15 | 0.015
3/1/2025 | 7 | 70497 | 12206 | -12069 | 20019 | 5224 | -5166 | 0.284 | 1398 | 196 | 0.14
3/1/2025 | 8 | 71926 | 11486 | -11792 | 17370 | 4916 | -5047 | 0.241 | 1905 | 434 | 0.228
3/1/2025 | 9 | 71011 | 11462 | -12183 | 13977 | 4905 | -5214 | 0.194 | 36 | 0 | 0
3/1/2025 | 10 | 69336 | 11568 | -12553 | 12683 | 4951 | -5373 | 0.179 | 0 | 0 | 0
3/1/2025 | 11 | 67489 | 11578 | -12754 | 12014 | 4956 | -5459 | 0.174 | 0 | 0 | 0
3/1/2025 | 12 | 65055 | 11887 | -13050 | 12294 | 5088 | -5586 | 0.185 | 0 | 0 | 0
3/1/2025 | 13 | 63336 | 12406 | -13510 | 11351 | 5310 | -5782 | 0.175 | 0 | 0 | 0
3/1/2025 | 14 | 63546 | 12012 | -13209 | 11069 | 5141 | -5653 | 0.169 | 0 | 0 | 0
3/1/2025 | 15 | 64983 | 11824 | -13419 | 11254 | 5061 | -5744 | 0.167 | 0 | 0 | 0
3/1/2025 | 16 | 68364 | 11595 | -13319 | 12015 | 4963 | -5700 | 0.169 | 0 | 0 | 0
3/1/2025 | 17 | 71908 | 10946 | -12109 | 15297 | 4685 | -5183 | 0.209 | 0 | 0 | 0
3/1/2025 | 18 | 75901 | 11194 | -12266 | 18418 | 4791 | -5250 | 0.24 | 728 | 4 | 0.005
3/1/2025 | 19 | 78318 | 12646 | -13352 | 19400 | 5412 | -5714 | 0.246 | 1013 | 44 | 0.043
3/1/2025 | 20 | 76946 | 11798 | -12631 | 18971 | 5050 | -5406 | 0.245 | 985 | 70 | 0.071
3/1/2025 | 21 | 75056 | 12027 | -12681 | 18474 | 5148 | -5428 | 0.245 | 672 | 13 | 0.019
3/1/2025 | 22 | 72576 | 12369 | -12575 | 18279 | 5294 | -5382 | 0.251 | 806 | 0 | 0
3/1/2025 | 23 | 69827 | 10517 | -10538 | 17978 | 4501 | -4510 | 0.257 | 746 | 0 | 0
3/1/2025 | 24 | 67112 | 10270 | -10456 | 18036 | 4395 | -4475 | 0.268 | 944 | 0 | 0
3/2/2025 | 1 | 65920 | 9978 | -10562 | 17696 | 4271 | -4520 | 0.267 | 716 | 22 | 0.031
3/2/2025 | 2 | 64523 | 9996 | -10598 | 17694 | 4278 | -4536 | 0.273 | 708 | 27 | 0.038
3/2/2025 | 3 | 63819 | 9769 | -10582 | 17286 | 4181 | -4529 | 0.269 | 666 | 43 | 0.065
3/2/2025 | 4 | 63726 | 9240 | -10309 | 17059 | 3955 | -4412 | 0.265 | 333 | 0 | 0
3/2/2025 | 5 | 64504 | 9010 | -10064 | 17235 | 3856 | -4308 | 0.265 | 307 | 0 | 0
3/2/2025 | 6 | 66105 | 9338 | -10306 | 17329 | 3997 | -4411 | 0.26 | 199 | 0 | 0
3/2/2025 | 7 | 68206 | 9651 | -10629 | 17053 | 4131 | -4549 | 0.247 | 360 | 22 | 0.061
3/2/2025 | 8 | 68869 | 8976 | -10200 | 13840 | 3842 | -4366 | 0.197 | 57 | 2 | 0.035
3/2/2025 | 9 | 70021 | 8780 | -10578 | 12324 | 3758 | -4527 | 0.169 | 0 | 0 | 0
3/2/2025 | 10 | 69964 | 8826 | -10805 | 12088 | 3778 | -4625 | 0.165 | 0 | 0 | 0
3/2/2025 | 11 | 68302 | 9318 | -11221 | 11550 | 3988 | -4802 | 0.162 | 0 | 0 | 0
3/2/2025 | 12 | 67191 | 9716 | -11314 | 11338 | 4158 | -4842 | 0.162 | 0 | 0 | 0
3/2/2025 | 13 | 65919 | 9937 | -11577 | 11076 | 4253 | -4955 | 0.161 | 0 | 0 | 0
3/2/2025 | 14 | 66520 | 9991 | -11621 | 10860 | 4276 | -4974 | 0.157 | 0 | 0 | 0
3/2/2025 | 15 | 67232 | 9493 | -11417 | 11032 | 4063 | -4887 | 0.156 | 0 | 0 | 0
3/2/2025 | 16 | 70780 | 9751 | -12115 | 12040 | 4173 | -5185 | 0.161 | 0 | 0 | 0
3/2/2025 | 17 | 74496 | 9762 | -12056 | 14464 | 4178 | -5160 | 0.187 | 0 | 0 | 0
3/2/2025 | 18 | 79333 | 11986 | -13873 | 17329 | 5130 | -5938 | 0.213 | 383 | 5 | 0.013
3/2/2025 | 19 | 82700 | 12184 | -14006 | 18589 | 5215 | -5995 | 0.22 | 758 | 38 | 0.05
3/2/2025 | 20 | 81711 | 11477 | -13082 | 18764 | 4912 | -5599 | 0.226 | 1008 | 62 | 0.062
3/2/2025 | 21 | 79239 | 12017 | -13169 | 18537 | 5143 | -5637 | 0.231 | 1197 | 167 | 0.14
3/2/2025 | 22 | 75444 | 11851 | -12471 | 17649 | 5072 | -5338 | 0.232 | 1311 | 226 | 0.172
3/2/2025 | 23 | 71089 | 12479 | -12600 | 16871 | 5341 | -5393 | 0.237 | 903 | 29 | 0.032
3/2/2025 | 24 | 67167 | 12547 | -12238 | 16123 | 5370 | -5238 | 0.241 | 781 | 27 | 0.035
3/3/2025 | 1 | 65395 | 11700 | -11368 | 16095 | 5007 | -4865 | 0.247 | 856 | 71 | 0.083
3/3/2025 | 2 | 63732 | 11658 | -11197 | 16053 | 4990 | -4792 | 0.253 | 565 | 63 | 0.112
3/3/2025 | 3 | 63155 | 11531 | -11146 | 16018 | 4935 | -4771 | 0.255 | 497 | 51 | 0.103
3/3/2025 | 4 | 63893 | 11584 | -11228 | 16419 | 4958 | -4806 | 0.258 | 732 | 117 | 0.16
3/3/2025 | 5 | 67183 | 11556 | -11741 | 17017 | 4946 | -5025 | 0.253 | 528 | 54 | 0.102
3/3/2025 | 6 | 73187 | 11628 | -12284 | 18330 | 4977 | -5258 | 0.249 | 547 | 95 | 0.174
3/3/2025 | 7 | 79991 | 13129 | -14727 | 19164 | 5619 | -6303 | 0.236 | 1043 | 189 | 0.181
3/3/2025 | 8 | 81163 | 11422 | -12680 | 16357 | 4889 | -5427 | 0.198 | 378 | 35 | 0.093
3/3/2025 | 9 | 78832 | 10532 | -12240 | 13323 | 4508 | -5239 | 0.163 | 0 | 0 | 0
3/3/2025 | 10 | 76348 | 10476 | -12260 | 11820 | 4484 | -5247 | 0.148 | 0 | 0 | 0
3/3/2025 | 11 | 74461 | 10659 | -12405 | 11652 | 4562 | -5309 | 0.15 | 0 | 0 | 0
3/3/2025 | 12 | 72294 | 10755 | -12485 | 11247 | 4603 | -5343 | 0.149 | 0 | 0 | 0
3/3/2025 | 13 | 71596 | 10522 | -12240 | 10868 | 4504 | -5239 | 0.145 | 0 | 0 | 0
3/3/2025 | 14 | 70891 | 10621 | -12316 | 11014 | 4546 | -5271 | 0.149 | 0 | 0 | 0
3/3/2025 | 15 | 70030 | 10594 | -12340 | 11254 | 4534 | -5282 | 0.154 | 0 | 0 | 0
3/3/2025 | 16 | 72672 | 10775 | -12510 | 12007 | 4612 | -5354 | 0.159 | 0 | 0 | 0
3/3/2025 | 17 | 77403 | 10967 | -12436 | 14194 | 4694 | -5323 | 0.179 | 0 | 0 | 0
3/3/2025 | 18 | 84445 | 13020 | -14454 | 18114 | 5573 | -6187 | 0.211 | 715 | 84 | 0.117
3/3/2025 | 19 | 87799 | 13426 | -14845 | 19734 | 5747 | -6354 | 0.221 | 1029 | 252 | 0.245
3/3/2025 | 20 | 86459 | 14117 | -15379 | 19586 | 6042 | -6582 | 0.224 | 1317 | 392 | 0.298
3/3/2025 | 21 | 84599 | 13595 | -15087 | 19510 | 5818 | -6457 | 0.227 | 1691 | 508 | 0.3
3/3/2025 | 22 | 81173 | 13035 | -14569 | 18856 | 5579 | -6236 | 0.229 | 1217 | 228 | 0.187
3/3/2025 | 23 | 76861 | 11669 | -13088 | 18579 | 4995 | -5602 | 0.238 | 1210 | 409 | 0.338
3/3/2025 | 24 | 72608 | 11310 | -12462 | 17989 | 4841 | -5334 | 0.245 | 1186 | 334 | 0.282
3/4/2025 | 1 | 70150 | 10769 | -11741 | 17753 | 4609 | -5025 | 0.251 | 1887 | 417 | 0.221
3/4/2025 | 2 | 68814 | 10902 | -11854 | 17607 | 4666 | -5074 | 0.253 | 1565 | 394 | 0.252
3/4/2025 | 3 | 67825 | 10822 | -11652 | 17651 | 4632 | -4987 | 0.258 | 1591 | 363 | 0.228
3/4/2025 | 4 | 68510 | 10295 | -11322 | 18460 | 4406 | -4846 | 0.267 | 1628 | 332 | 0.204
3/4/2025 | 5 | 71457 | 10126 | -11258 | 19458 | 4334 | -4818 | 0.27 | 1510 | 298 | 0.197
3/4/2025 | 6 | 77026 | 11714 | -12962 | 21062 | 5014 | -5548 | 0.271 | 1788 | 397 | 0.222
3/4/2025 | 7 | 82524 | 12340 | -13443 | 21649 | 5282 | -5754 | 0.26 | 2243 | 744 | 0.332
3/4/2025 | 8 | 83091 | 10197 | -11177 | 17278 | 4365 | -4784 | 0.205 | 682 | 117 | 0.172
3/4/2025 | 9 | 81349 | 9033 | -10264 | 14769 | 3866 | -4393 | 0.178 | 0 | 0 | 0
3/4/2025 | 10 | 78250 | 9313 | -10483 | 13342 | 3986 | -4487 | 0.167 | 0 | 0 | 0
3/4/2025 | 11 | 74400 | 10061 | -10426 | 12752 | 4306 | -4462 | 0.17 | 0 | 0 | 0
3/4/2025 | 12 | 70908 | 10676 | -10590 | 12440 | 4570 | -4533 | 0.176 | 0 | 0 | 0
3/4/2025 | 13 | 69487 | 10656 | -10624 | 12378 | 4561 | -4547 | 0.178 | 0 | 0 | 0
3/4/2025 | 14 | 69042 | 10722 | -10787 | 12410 | 4589 | -4617 | 0.18 | 0 | 0 | 0
3/4/2025 | 15 | 69335 | 10925 | -11051 | 12331 | 4676 | -4730 | 0.177 | 0 | 0 | 0
3/4/2025 | 16 | 72292 | 11526 | -11596 | 13383 | 4933 | -4963 | 0.185 | 0 | 0 | 0
3/4/2025 | 17 | 77326 | 11643 | -11544 | 15691 | 4983 | -4941 | 0.203 | 0 | 0 | 0
3/4/2025 | 18 | 82716 | 14016 | -13536 | 20335 | 5999 | -5793 | 0.247 | 269 | 31 | 0.115
3/4/2025 | 19 | 84942 | 15360 | -14797 | 22266 | 6574 | -6333 | 0.263 | 934 | 182 | 0.195
3/4/2025 | 20 | 83675 | 16150 | -15479 | 22179 | 6912 | -6625 | 0.266 | 1237 | 128 | 0.103
3/4/2025 | 21 | 82220 | 15981 | -15408 | 22169 | 6840 | -6595 | 0.271 | 2025 | 481 | 0.238
3/4/2025 | 22 | 78593 | 15074 | -14418 | 21656 | 6452 | -6171 | 0.277 | 1830 | 416 | 0.227
3/4/2025 | 23 | 74197 | 12406 | -11999 | 21305 | 5310 | -5135 | 0.288 | 1450 | 236 | 0.163
3/4/2025 | 24 | 70124 | 12737 | -12044 | 20696 | 5452 | -5155 | 0.296 | 1577 | 252 | 0.16
3/5/2025 | 1 | 68627 | 11440 | -10908 | 20722 | 4896 | -4669 | 0.303 | 1643 | 350 | 0.213
3/5/2025 | 2 | 67002 | 11671 | -10844 | 20472 | 4995 | -4641 | 0.307 | 1554 | 426 | 0.274
3/5/2025 | 3 | 66406 | 11873 | -11178 | 20594 | 5082 | -4784 | 0.311 | 1419 | 427 | 0.301
3/5/2025 | 4 | 67067 | 12697 | -11924 | 20994 | 5434 | -5104 | 0.314 | 1136 | 366 | 0.322
3/5/2025 | 5 | 69802 | 13031 | -12337 | 21530 | 5577 | -5280 | 0.31 | 1462 | 578 | 0.395
3/5/2025 | 6 | 76104 | 13031 | -13014 | 22426 | 5578 | -5570 | 0.295 | 1251 | 335 | 0.268
3/5/2025 | 7 | 81444 | 13377 | -13436 | 22471 | 5725 | -5750 | 0.276 | 2156 | 1020 | 0.473
3/5/2025 | 8 | 83316 | 11071 | -11161 | 20655 | 4739 | -4777 | 0.248 | 2869 | 1447 | 0.504
3/5/2025 | 9 | 82013 | 9595 | -9445 | 19813 | 4107 | -4043 | 0.242 | 2146 | 960 | 0.447
3/5/2025 | 10 | 80562 | 9725 | -9842 | 19386 | 4162 | -4212 | 0.24 | 1696 | 767 | 0.452
3/5/2025 | 11 | 79422 | 9173 | -9704 | 19307 | 3926 | -4153 | 0.242 | 1588 | 591 | 0.372
3/5/2025 | 12 | 77869 | 9849 | -10405 | 19555 | 4216 | -4454 | 0.25 | 1012 | 231 | 0.228
3/5/2025 | 13 | 77336 | 10867 | -10961 | 19565 | 4651 | -4691 | 0.253 | 655 | 107 | 0.163
3/5/2025 | 14 | 77594 | 10653 | -10800 | 19650 | 4559 | -4622 | 0.253 | 1231 | 227 | 0.184
3/5/2025 | 15 | 77211 | 11340 | -11427 | 20522 | 4854 | -4891 | 0.266 | 1045 | 129 | 0.123
3/5/2025 | 16 | 77718 | 11187 | -11486 | 21000 | 4788 | -4916 | 0.27 | 1038 | 246 | 0.237
3/5/2025 | 17 | 79702 | 11612 | -12188 | 21531 | 4970 | -5216 | 0.269 | 1352 | 409 | 0.303
3/5/2025 | 18 | 83306 | 12485 | -13165 | 22051 | 5344 | -5634 | 0.263 | 1407 | 409 | 0.291
3/5/2025 | 19 | 85825 | 12636 | -13210 | 22559 | 5408 | -5654 | 0.262 | 1993 | 610 | 0.306
3/5/2025 | 20 | 85053 | 12940 | -13487 | 22672 | 5538 | -5772 | 0.266 | 1768 | 653 | 0.369
3/5/2025 | 21 | 83605 | 12664 | -13227 | 22469 | 5420 | -5661 | 0.268 | 1625 | 589 | 0.362
3/5/2025 | 22 | 80264 | 12043 | -12601 | 21623 | 5154 | -5393 | 0.268 | 1197 | 238 | 0.199
3/5/2025 | 23 | 75693 | 11153 | -11555 | 21127 | 4774 | -4946 | 0.278 | 396 | 43 | 0.109
3/5/2025 | 24 | 72069 | 10837 | -11051 | 20864 | 4638 | -4730 | 0.289 | 254 | 33 | 0.13
3/6/2025 | 1 | 70275 | 10096 | -10366 | 20098 | 4321 | -4436 | 0.285 | 846 | 30 | 0.035
3/6/2025 | 2 | 68750 | 9910 | -10210 | 19747 | 4242 | -4370 | 0.287 | 805 | 0 | 0
3/6/2025 | 3 | 68090 | 10103 | -10324 | 19664 | 4324 | -4419 | 0.288 | 774 | 0 | 0
3/6/2025 | 4 | 68670 | 10226 | -10376 | 19745 | 4377 | -4441 | 0.287 | 343 | 0 | 0
3/6/2025 | 5 | 71535 | 10762 | -10959 | 20646 | 4606 | -4690 | 0.288 | 286 | 2 | 0.007
3/6/2025 | 6 | 77433 | 11143 | -11764 | 21174 | 4769 | -5035 | 0.272 | 276 | 26 | 0.094
3/6/2025 | 7 | 83505 | 11746 | -12462 | 21685 | 5027 | -5334 | 0.258 | 601 | 63 | 0.105
3/6/2025 | 8 | 85205 | 11035 | -11787 | 19073 | 4723 | -5045 | 0.222 | 17 | 2 | 0.118
3/6/2025 | 9 | 82134 | 11111 | -11551 | 15754 | 4756 | -4944 | 0.191 | 0 | 0 | 0
3/6/2025 | 10 | 78947 | 10736 | -11384 | 14301 | 4595 | -4872 | 0.179 | 0 | 0 | 0
3/6/2025 | 11 | 76474 | 10615 | -11316 | 14068 | 4543 | -4843 | 0.182 | 0 | 0 | 0
3/6/2025 | 12 | 74479 | 10910 | -11584 | 13715 | 4670 | -4958 | 0.182 | 0 | 0 | 0
3/6/2025 | 13 | 72548 | 11580 | -11609 | 14013 | 4956 | -4969 | 0.193 | 0 | 0 | 0
3/6/2025 | 14 | 73191 | 11322 | -11346 | 14143 | 4846 | -4856 | 0.193 | 0 | 0 | 0
3/6/2025 | 15 | 73656 | 10962 | -11405 | 14394 | 4692 | -4881 | 0.194 | 23 | 0 | 0
3/6/2025 | 16 | 74888 | 10263 | -10807 | 15406 | 4393 | -4625 | 0.204 | 0 | 0 | 0
3/6/2025 | 17 | 77574 | 10662 | -10862 | 17590 | 4564 | -4649 | 0.226 | 310 | 3 | 0.01
3/6/2025 | 18 | 82728 | 13068 | -13081 | 20256 | 5593 | -5599 | 0.245 | 138 | 6 | 0.043
3/6/2025 | 19 | 85685 | 13122 | -13318 | 21190 | 5616 | -5700 | 0.247 | 135 | 14 | 0.104
3/6/2025 | 20 | 85537 | 12412 | -12724 | 20988 | 5312 | -5446 | 0.245 | 126 | 11 | 0.087
3/6/2025 | 21 | 83918 | 12630 | -12717 | 20868 | 5405 | -5443 | 0.248 | 95 | 8 | 0.084
3/6/2025 | 22 | 80798 | 12675 | -12374 | 20927 | 5425 | -5296 | 0.26 | 249 | 21 | 0.084
3/6/2025 | 23 | 76696 | 11342 | -10978 | 20664 | 4854 | -4699 | 0.27 | 238 | 11 | 0.046
3/6/2025 | 24 | 72366 | 11689 | -10777 | 20649 | 5003 | -4612 | 0.287 | 372 | 4 | 0.011
3/7/2025 | 1 | 70391 | 12510 | -11617 | 19724 | 5354 | -4972 | 0.282 | 512 | 0 | 0
3/7/2025 | 2 | 68849 | 13116 | -11935 | 19712 | 5614 | -5108 | 0.289 | 449 | 0 | 0
3/7/2025 | 3 | 68292 | 12769 | -11606 | 19421 | 5465 | -4968 | 0.287 | 639 | 0 | 0
3/7/2025 | 4 | 68869 | 12677 | -11465 | 20036 | 5426 | -4907 | 0.293 | 428 | 0 | 0
3/7/2025 | 5 | 71795 | 12950 | -11954 | 21070 | 5542 | -5116 | 0.295 | 366 | 39 | 0.107
3/7/2025 | 6 | 77062 | 13746 | -12790 | 21716 | 5883 | -5474 | 0.284 | 571 | 44 | 0.077
3/7/2025 | 7 | 82687 | 14175 | -13366 | 22765 | 6067 | -5720 | 0.277 | 1421 | 239 | 0.168
3/7/2025 | 8 | 83644 | 12325 | -11662 | 20584 | 5275 | -4991 | 0.248 | 791 | 73 | 0.092
3/7/2025 | 9 | 80863 | 13139 | -12388 | 16932 | 5623 | -5302 | 0.211 | 30 | 0 | 0
3/7/2025 | 10 | 76521 | 13228 | -12789 | 14125 | 5662 | -5474 | 0.186 | 0 | 0 | 0
3/7/2025 | 11 | 73805 | 13456 | -13178 | 13221 | 5759 | -5640 | 0.18 | 0 | 0 | 0
3/7/2025 | 12 | 70656 | 12820 | -12706 | 13004 | 5487 | -5438 | 0.184 | 0 | 0 | 0
3/7/2025 | 13 | 68789 | 13170 | -13196 | 12606 | 5637 | -5648 | 0.183 | 0 | 0 | 0
3/7/2025 | 14 | 68773 | 13091 | -13180 | 12206 | 5603 | -5641 | 0.177 | 0 | 0 | 0
3/7/2025 | 15 | 69376 | 12711 | -12930 | 12491 | 5440 | -5534 | 0.179 | 0 | 0 | 0
3/7/2025 | 16 | 71609 | 12931 | -13581 | 13056 | 5534 | -5813 | 0.18 | 0 | 0 | 0
3/7/2025 | 17 | 74858 | 13083 | -13436 | 16108 | 5600 | -5751 | 0.214 | 0 | 0 | 0
3/7/2025 | 18 | 80514 | 15196 | -15097 | 20264 | 6504 | -6461 | 0.252 | 1047 | 82 | 0.078
3/7/2025 | 19 | 83788 | 15468 | -15234 | 21861 | 6620 | -6520 | 0.261 | 1676 | 305 | 0.182
3/7/2025 | 20 | 82324 | 15749 | -15171 | 21791 | 6741 | -6493 | 0.266 | 1274 | 298 | 0.234
3/7/2025 | 21 | 80825 | 15214 | -14596 | 21760 | 6512 | -6247 | 0.27 | 924 | 254 | 0.275
3/7/2025 | 22 | 78480 | 14983 | -14333 | 21426 | 6413 | -6134 | 0.274 | 1293 | 262 | 0.203
3/7/2025 | 23 | 75218 | 13765 | -13005 | 21098 | 5891 | -5566 | 0.282 | 929 | 171 | 0.184
3/7/2025 | 24 | 71752 | 13472 | -12680 | 20206 | 5766 | -5427 | 0.283 | 997 | 230 | 0.231
3/8/2025 | 1 | 70235 | 13199 | -12733 | 20309 | 5649 | -5449 | 0.29 | 1584 | 533 | 0.336
3/8/2025 | 2 | 68428 | 13232 | -12518 | 20730 | 5663 | -5357 | 0.304 | 1510 | 416 | 0.275
3/8/2025 | 3 | 67043 | 13519 | -12506 | 21037 | 5786 | -5352 | 0.315 | 1210 | 336 | 0.278
3/8/2025 | 4 | 67051 | 13522 | -12560 | 21062 | 5787 | -5376 | 0.316 | 624 | 107 | 0.171
3/8/2025 | 5 | 68148 | 13569 | -12653 | 21485 | 5808 | -5416 | 0.317 | 469 | 63 | 0.134
3/8/2025 | 6 | 70629 | 14466 | -13499 | 21930 | 6192 | -5778 | 0.312 | 467 | 47 | 0.101
3/8/2025 | 7 | 73138 | 14313 | -13379 | 21367 | 6126 | -5726 | 0.294 | 814 | 92 | 0.113
3/8/2025 | 8 | 72128 | 11475 | -10661 | 15980 | 4911 | -4563 | 0.224 | 119 | 12 | 0.101
3/8/2025 | 9 | 70965 | 12296 | -12225 | 12359 | 5263 | -5232 | 0.174 | 0 | 0 | 0
3/8/2025 | 10 | 67945 | 12396 | -12685 | 11452 | 5306 | -5429 | 0.167 | 0 | 0 | 0
3/8/2025 | 11 | 64934 | 12401 | -12736 | 10687 | 5307 | -5451 | 0.163 | 0 | 0 | 0
3/8/2025 | 12 | 62600 | 12482 | -12868 | 10457 | 5342 | -5507 | 0.165 | 0 | 0 | 0
3/8/2025 | 13 | 60994 | 12644 | -13015 | 10119 | 5412 | -5571 | 0.164 | 0 | 0 | 0
3/8/2025 | 14 | 60464 | 12648 | -13092 | 10204 | 5413 | -5604 | 0.167 | 0 | 0 | 0
3/8/2025 | 15 | 61574 | 12645 | -13094 | 9859 | 5412 | -5604 | 0.158 | 0 | 0 | 0
3/8/2025 | 16 | 65357 | 12486 | -13114 | 10468 | 5344 | -5613 | 0.158 | 0 | 0 | 0
3/8/2025 | 17 | 69321 | 11426 | -11130 | 14002 | 4890 | -4763 | 0.203 | 0 | 0 | 0
3/8/2025 | 18 | 75369 | 13636 | -12883 | 18568 | 5836 | -5514 | 0.248 | 956 | 82 | 0.086
3/8/2025 | 19 | 78036 | 14105 | -13172 | 20160 | 6037 | -5637 | 0.26 | 1717 | 282 | 0.164
3/8/2025 | 20 | 77226 | 14653 | -13394 | 20457 | 6272 | -5733 | 0.268 | 2166 | 450 | 0.208
3/8/2025 | 21 | 75247 | 14663 | -13100 | 20560 | 6276 | -5606 | 0.276 | 2377 | 620 | 0.261
3/8/2025 | 22 | 73012 | 14372 | -12898 | 20561 | 6152 | -5520 | 0.285 | 2627 | 800 | 0.305
3/8/2025 | 23 | 70510 | 13567 | -12220 | 20411 | 5806 | -5230 | 0.292 | 2125 | 594 | 0.28
3/8/2025 | 24 | 68298 | 13294 | -12236 | 19724 | 5690 | -5237 | 0.291 | 1951 | 442 | 0.227
3/9/2025 | 1 | 67620 | 11680 | -11549 | 19136 | 4999 | -4943 | 0.283 | 1445 | 334 | 0.231
3/9/2025 | 2 | 66432 | 11457 | -11308 | 19037 | 4904 | -4840 | 0.287 | 1513 | 271 | 0.179
3/9/2025 | 4 | 65625 | 11772 | -11551 | 19151 | 5038 | -4944 | 0.292 | 1444 | 214 | 0.148
3/9/2025 | 5 | 66006 | 12714 | -12248 | 19181 | 5442 | -5242 | 0.292 | 1147 | 153 | 0.133
3/9/2025 | 6 | 67308 | 12758 | -12294 | 19431 | 5461 | -5262 | 0.29 | 947 | 183 | 0.193
3/9/2025 | 7 | 69957 | 12689 | -12337 | 19556 | 5431 | -5280 | 0.28 | 1126 | 263 | 0.234
3/9/2025 | 8 | 72094 | 11581 | -11315 | 18525 | 4957 | -4843 | 0.258 | 1045 | 267 | 0.256
3/9/2025 | 9 | 70933 | 9365 | -9469 | 13113 | 4008 | -4053 | 0.185 | 40 | 0 | 0
3/9/2025 | 10 | 68902 | 9638 | -10259 | 11005 | 4125 | -4391 | 0.157 | 0 | 0 | 0
3/9/2025 | 11 | 64925 | 10058 | -10623 | 10222 | 4305 | -4547 | 0.155 | 0 | 0 | 0
3/9/2025 | 12 | 61756 | 10360 | -10939 | 10157 | 4434 | -4682 | 0.162 | 0 | 0 | 0
3/9/2025 | 13 | 59990 | 10673 | -11246 | 9986 | 4568 | -4813 | 0.164 | 0 | 0 | 0
3/9/2025 | 14 | 58961 | 10615 | -11101 | 9856 | 4543 | -4751 | 0.165 | 0 | 0 | 0
3/9/2025 | 15 | 59602 | 10677 | -11396 | 9950 | 4570 | -4877 | 0.164 | 0 | 0 | 0
3/9/2025 | 16 | 61792 | 10861 | -11583 | 10651 | 4649 | -4957 | 0.169 | 0 | 0 | 0
3/9/2025 | 17 | 65085 | 9652 | -10226 | 11364 | 4131 | -4376 | 0.172 | 0 | 0 | 0
3/9/2025 | 18 | 70916 | 10198 | -10511 | 13908 | 4365 | -4499 | 0.195 | 20 | 0 | 0
3/9/2025 | 19 | 77272 | 13234 | -13630 | 17842 | 5664 | -5834 | 0.23 | 840 | 121 | 0.144
3/9/2025 | 20 | 80151 | 13478 | -13487 | 18782 | 5769 | -5772 | 0.234 | 1415 | 390 | 0.276
3/9/2025 | 21 | 78853 | 14525 | -14326 | 18316 | 6217 | -6132 | 0.233 | 1723 | 599 | 0.348
3/9/2025 | 22 | 76608 | 14352 | -14234 | 18236 | 6143 | -6092 | 0.238 | 2321 | 774 | 0.333
3/9/2025 | 23 | 72871 | 13951 | -13989 | 18139 | 5971 | -5987 | 0.249 | 1423 | 398 | 0.28
3/9/2025 | 24 | 68540 | 14206 | -13793 | 17417 | 6080 | -5904 | 0.255 | 1505 | 396 | 0.263
3/10/2025 | 1 | 66747 | 14381 | -14061 | 17022 | 6155 | -6018 | 0.256 | 1371 | 344 | 0.251
3/10/2025 | 2 | 65132 | 14609 | -14350 | 16391 | 6252 | -6142 | 0.252 | 1465 | 351 | 0.24
3/10/2025 | 3 | 64548 | 14599 | -14557 | 16203 | 6248 | -6231 | 0.251 | 938 | 206 | 0.22
3/10/2025 | 4 | 65008 | 14097 | -14096 | 16553 | 6034 | -6034 | 0.255 | 815 | 172 | 0.211
3/10/2025 | 5 | 67310 | 14126 | -13957 | 17517 | 6046 | -5974 | 0.261 | 936 | 164 | 0.175
3/10/2025 | 6 | 72275 | 15092 | -14578 | 18579 | 6460 | -6239 | 0.258 | 613 | 48 | 0.078
3/10/2025 | 7 | 79781 | 14174 | -13870 | 20015 | 6066 | -5936 | 0.252 | 864 | 104 | 0.12
3/10/2025 | 8 | 84031 | 13770 | -13724 | 20385 | 5893 | -5874 | 0.243 | 1276 | 334 | 0.262
3/10/2025 | 9 | 82271 | 11219 | -11609 | 16022 | 4802 | -4968 | 0.194 | 980 | 248 | 0.253
3/10/2025 | 10 | 79187 | 11054 | -12153 | 13104 | 4731 | -5202 | 0.162 | 316 | 0 | 0
3/10/2025 | 11 | 75209 | 10377 | -11424 | 13322 | 4442 | -4890 | 0.174 | 104 | 0 | 0
3/10/2025 | 12 | 71741 | 10222 | -10984 | 12629 | 4375 | -4701 | 0.173 | 0 | 0 | 0
3/10/2025 | 13 | 69737 | 10247 | -10986 | 12519 | 4386 | -4702 | 0.177 | 79 | 0 | 0
3/10/2025 | 14 | 68402 | 10353 | -11312 | 12530 | 4431 | -4842 | 0.18 | 11 | 0 | 0
3/10/2025 | 15 | 68286 | 9508 | -10453 | 12009 | 4070 | -4474 | 0.172 | 386 | 2 | 0.005
3/10/2025 | 16 | 69483 | 9382 | -10458 | 12680 | 4016 | -4476 | 0.179 | 737 | 181 | 0.246
3/10/2025 | 17 | 72321 | 9468 | -10366 | 13373 | 4052 | -4437 | 0.182 | 601 | 75 | 0.125
3/10/2025 | 18 | 76902 | 10459 | -10840 | 15569 | 4476 | -4639 | 0.201 | 134 | 7 | 0.052
3/10/2025 | 19 | 81212 | 13261 | -13007 | 19184 | 5676 | -5567 | 0.237 | 1094 | 145 | 0.133
3/10/2025 | 20 | 83681 | 13556 | -13203 | 20621 | 5802 | -5651 | 0.247 | 1348 | 202 | 0.15
3/10/2025 | 21 | 81667 | 14096 | -13247 | 20558 | 6033 | -5670 | 0.254 | 937 | 132 | 0.141
3/10/2025 | 22 | 78343 | 14332 | -13446 | 20385 | 6134 | -5755 | 0.262 | 1192 | 241 | 0.202
3/10/2025 | 23 | 74109 | 13458 | -13083 | 20120 | 5760 | -5599 | 0.272 | 917 | 171 | 0.186
3/10/2025 | 24 | 69874 | 13284 | -12876 | 19555 | 5686 | -5511 | 0.281 | 956 | 186 | 0.195
3/11/2025 | 1 | 67705 | 12650 | -12344 | 20130 | 5414 | -5283 | 0.298 | 1562 | 300 | 0.192
3/11/2025 | 2 | 66063 | 12093 | -11825 | 19959 | 5176 | -5061 | 0.303 | 792 | 32 | 0.04
3/11/2025 | 3 | 64891 | 12030 | -11627 | 19868 | 5149 | -4976 | 0.307 | 635 | 50 | 0.079
3/11/2025 | 4 | 65085 | 11673 | -11267 | 19992 | 4996 | -4822 | 0.308 | 640 | 62 | 0.097
3/11/2025 | 5 | 67339 | 11736 | -11653 | 20209 | 5023 | -4988 | 0.3 | 470 | 32 | 0.068
3/11/2025 | 6 | 72559 | 12245 | -12290 | 21376 | 5241 | -5260 | 0.295 | 569 | 60 | 0.105
3/11/2025 | 7 | 79552 | 12771 | -12820 | 22368 | 5466 | -5487 | 0.281 | 540 | 56 | 0.104
3/11/2025 | 8 | 83802 | 12587 | -12524 | 21820 | 5387 | -5360 | 0.261 | 345 | 29 | 0.084
3/11/2025 | 9 | 82359 | 10401 | -10443 | 19418 | 4452 | -4470 | 0.236 | 860 | 95 | 0.11
3/11/2025 | 10 | 79096 | 10235 | -10199 | 17188 | 4381 | -4365 | 0.217 | 816 | 1 | 0.001
3/11/2025 | 11 | 75845 | 10343 | -10213 | 15868 | 4427 | -4371 | 0.21 | 481 | 0 | 0
3/11/2025 | 12 | 73400 | 10335 | -10269 | 15116 | 4423 | -4395 | 0.206 | 314 | 1 | 0.003
3/11/2025 | 13 | 72358 | 10441 | -10387 | 15502 | 4469 | -4446 | 0.214 | 182 | 0 | 0
3/11/2025 | 14 | 71102 | 10518 | -10420 | 15825 | 4502 | -4460 | 0.223 | 149 | 1 | 0.007
3/11/2025 | 15 | 71371 | 10535 | -10505 | 15744 | 4509 | -4496 | 0.221 | 0 | 0 | 0
3/11/2025 | 16 | 72139 | 10132 | -10483 | 16357 | 4337 | -4486 | 0.226 | 6 | 0 | 0
3/11/2025 | 17 | 74186 | 10536 | -10795 | 16816 | 4509 | -4621 | 0.226 | 0 | 0 | 0
3/11/2025 | 18 | 77856 | 10745 | -10981 | 19044 | 4599 | -4700 | 0.244 | 68 | 8 | 0.118
3/11/2025 | 19 | 81866 | 11732 | -11912 | 21797 | 5021 | -5098 | 0.266 | 762 | 73 | 0.096
3/11/2025 | 20 | 84493 | 11754 | -11917 | 21971 | 5031 | -5101 | 0.26 | 970 | 126 | 0.13
3/11/2025 | 21 | 82810 | 11558 | -11734 | 22099 | 4947 | -5022 | 0.267 | 1155 | 149 | 0.129
3/11/2025 | 22 | 80008 | 11759 | -12075 | 22071 | 5033 | -5168 | 0.275 | 1669 | 429 | 0.257
3/11/2025 | 23 | 75539 | 10716 | -11340 | 21791 | 4586 | -4854 | 0.287 | 1556 | 283 | 0.182
3/11/2025 | 24 | 70896 | 10454 | -10581 | 21438 | 4474 | -4528 | 0.302 | 1589 | 365 | 0.23
3/12/2025 | 1 | 68211 | 11621 | -11053 | 21276 | 4974 | -4731 | 0.313 | 1075 | 121 | 0.113
3/12/2025 | 2 | 66384 | 11588 | -11025 | 20893 | 4960 | -4719 | 0.316 | 1063 | 187 | 0.176
3/12/2025 | 3 | 65460 | 11389 | -11216 | 20590 | 4875 | -4800 | 0.315 | 1109 | 195 | 0.176
3/12/2025 | 4 | 65503 | 11230 | -11347 | 20261 | 4806 | -4857 | 0.309 | 748 | 103 | 0.138
3/12/2025 | 5 | 67464 | 11335 | -11710 | 20688 | 4851 | -5012 | 0.306 | 565 | 52 | 0.092
3/12/2025 | 6 | 72088 | 11714 | -12156 | 21408 | 5014 | -5203 | 0.296 | 494 | 42 | 0.085
3/12/2025 | 7 | 78345 | 11023 | -11459 | 21797 | 4718 | -4904 | 0.277 | 790 | 89 | 0.113
3/12/2025 | 8 | 82826 | 10519 | -11266 | 21744 | 4502 | -4822 | 0.261 | 474 | 29 | 0.061
3/12/2025 | 9 | 82457 | 9496 | -10359 | 19032 | 4064 | -4433 | 0.229 | 20 | 1 | 0.05
3/12/2025 | 10 | 81137 | 9038 | -10137 | 16642 | 3868 | -4339 | 0.202 | 0 | 0 | 0
3/12/2025 | 11 | 80295 | 9326 | -10252 | 15816 | 3991 | -4388 | 0.194 | 47 | 3 | 0.064
3/12/2025 | 12 | 78580 | 9312 | -10190 | 15504 | 3985 | -4361 | 0.195 | 0 | 0 | 0
3/12/2025 | 13 | 76866 | 9902 | -10622 | 15567 | 4238 | -4546 | 0.2 | 52 | 0 | 0
3/12/2025 | 14 | 75596 | 9719 | -10260 | 15740 | 4160 | -4391 | 0.207 | 0 | 0 | 0
3/12/2025 | 15 | 75908 | 9590 | -10109 | 15796 | 4104 | -4327 | 0.207 | 24 | 0 | 0
3/12/2025 | 16 | 76907 | 9734 | -10344 | 15810 | 4166 | -4427 | 0.204 | 79 | 0 | 0
3/12/2025 | 17 | 78804 | 9566 | -10146 | 16762 | 4094 | -4343 | 0.211 | 122 | 0 | 0
3/12/2025 | 18 | 82041 | 10815 | -11412 | 19063 | 4628 | -4884 | 0.231 | 64 | 10 | 0.156
3/12/2025 | 19 | 84476 | 11253 | -11987 | 21102 | 4816 | -5131 | 0.248 | 146 | 11 | 0.075
3/12/2025 | 20 | 85129 | 12107 | -12676 | 21464 | 5182 | -5425 | 0.251 | 32 | 3 | 0.094
3/12/2025 | 21 | 82637 | 12158 | -12009 | 21242 | 5204 | -5140 | 0.257 | 451 | 40 | 0.089
3/12/2025 | 22 | 78998 | 12636 | -11912 | 20662 | 5408 | -5098 | 0.263 | 1122 | 245 | 0.218
3/12/2025 | 23 | 74870 | 12318 | -11498 | 20308 | 5272 | -4921 | 0.273 | 1342 | 351 | 0.262
3/12/2025 | 24 | 71012 | 12556 | -11678 | 19452 | 5374 | -4998 | 0.276 | 1318 | 492 | 0.373
3/13/2025 | 1 | 68661 | 13880 | -13007 | 18706 | 5941 | -5567 | 0.274 | 1248 | 356 | 0.285
3/13/2025 | 2 | 66820 | 14333 | -13546 | 18430 | 6134 | -5798 | 0.278 | 699 | 118 | 0.169
3/13/2025 | 3 | 65604 | 14837 | -14086 | 17900 | 6350 | -6029 | 0.275 | 636 | 121 | 0.19
3/13/2025 | 4 | 65727 | 15061 | -14488 | 17282 | 6446 | -6201 | 0.264 | 396 | 33 | 0.083
3/13/2025 | 5 | 68378 | 14972 | -14766 | 17552 | 6408 | -6320 | 0.257 | 448 | 48 | 0.107
3/13/2025 | 6 | 73177 | 15020 | -14852 | 18792 | 6428 | -6357 | 0.257 | 713 | 61 | 0.086
3/13/2025 | 7 | 80359 | 14359 | -14587 | 19906 | 6146 | -6243 | 0.247 | 1034 | 184 | 0.178
3/13/2025 | 8 | 84833 | 14559 | -15002 | 20082 | 6231 | -6421 | 0.236 | 1297 | 391 | 0.301
3/13/2025 | 9 | 86042 | 11142 | -12131 | 19231 | 4769 | -5192 | 0.221 | 1461 | 333 | 0.228
3/13/2025 | 10 | 84485 | 10435 | -11359 | 17850 | 4466 | -4862 | 0.209 | 1022 | 93 | 0.091
3/13/2025 | 11 | 80898 | 10919 | -11769 | 16247 | 4673 | -5037 | 0.198 | 322 | 24 | 0.075
3/13/2025 | 12 | 77425 | 11040 | -11782 | 15274 | 4725 | -5042 | 0.195 | 43 | 1 | 0.023
3/13/2025 | 13 | 75404 | 10808 | -11594 | 14509 | 4626 | -4962 | 0.19 | 0 | 0 | 0
3/13/2025 | 14 | 73054 | 10628 | -11048 | 13501 | 4549 | -4728 | 0.183 | 0 | 0 | 0
3/13/2025 | 15 | 72125 | 10050 | -10475 | 13215 | 4301 | -4483 | 0.182 | 12 | 0 | 0
3/13/2025 | 16 | 72444 | 9863 | -10671 | 12946 | 4222 | -4567 | 0.176 | 0 | 0 | 0
3/13/2025 | 17 | 73606 | 10387 | -10645 | 13412 | 4446 | -4556 | 0.181 | 0 | 0 | 0
3/13/2025 | 18 | 77630 | 12004 | -12014 | 15122 | 5138 | -5142 | 0.195 | 0 | 0 | 0
3/13/2025 | 19 | 82722 | 14081 | -13894 | 18453 | 6026 | -5947 | 0.224 | 591 | 37 | 0.063
3/13/2025 | 20 | 86239 | 14361 | -13830 | 20004 | 6147 | -5919 | 0.233 | 1001 | 119 | 0.119
3/13/2025 | 21 | 85308 | 14152 | -13651 | 20216 | 6057 | -5843 | 0.238 | 1621 | 368 | 0.227
3/13/2025 | 22 | 82528 | 14029 | -13127 | 20369 | 6004 | -5618 | 0.249 | 2038 | 614 | 0.301
3/13/2025 | 23 | 78284 | 15470 | -14271 | 20057 | 6621 | -6108 | 0.259 | 1091 | 170 | 0.156
3/13/2025 | 24 | 73740 | 15033 | -13709 | 19528 | 6434 | -5867 | 0.268 | 770 | 86 | 0.112
3/14/2025 | 1 | 71580 | 13252 | -12302 | 19477 | 5672 | -5265 | 0.274 | 878 | 199 | 0.227
3/14/2025 | 2 | 70295 | 12622 | -12187 | 19687 | 5402 | -5216 | 0.281 | 697 | 135 | 0.194
3/14/2025 | 3 | 69485 | 11848 | -11768 | 19810 | 5071 | -5037 | 0.285 | 385 | 109 | 0.283
3/14/2025 | 4 | 69604 | 11610 | -11622 | 20150 | 4969 | -4974 | 0.289 | 442 | 51 | 0.115
3/14/2025 | 5 | 72049 | 11499 | -11476 | 20543 | 4922 | -4912 | 0.285 | 662 | 60 | 0.091
3/14/2025 | 6 | 77194 | 11413 | -11435 | 21165 | 4885 | -4894 | 0.274 | 730 | 21 | 0.029
3/14/2025 | 7 | 84231 | 12454 | -12416 | 21348 | 5330 | -5314 | 0.254 | 1173 | 101 | 0.086
3/14/2025 | 8 | 88847 | 12156 | -11981 | 21453 | 5203 | -5128 | 0.242 | 818 | 135 | 0.165
3/14/2025 | 9 | 90175 | 10299 | -10639 | 20464 | 4408 | -4554 | 0.226 | 714 | 76 | 0.106
3/14/2025 | 10 | 89182 | 9754 | -10145 | 19920 | 4175 | -4342 | 0.222 | 801 | 210 | 0.262
3/14/2025 | 11 | 85624 | 9922 | -10056 | 19388 | 4247 | -4304 | 0.226 | 1807 | 709 | 0.392
3/14/2025 | 12 | 82056 | 9932 | -10029 | 18068 | 4251 | -4292 | 0.22 | 1059 | 362 | 0.342
3/14/2025 | 13 | 79528 | 10582 | -10610 | 18038 | 4529 | -4541 | 0.227 | 347 | 59 | 0.17
3/14/2025 | 14 | 78840 | 10698 | -10706 | 17459 | 4579 | -4582 | 0.221 | 0 | 0 | 0
3/14/2025 | 15 | 77748 | 11003 | -11175 | 17897 | 4709 | -4783 | 0.23 | 147 | 23 | 0.156
3/14/2025 | 16 | 78007 | 10614 | -10598 | 18324 | 4543 | -4536 | 0.235 | 182 | 35 | 0.192
3/14/2025 | 17 | 79116 | 10498 | -10506 | 18788 | 4493 | -4497 | 0.237 | 0 | 0 | 0
3/14/2025 | 18 | 81537 | 10785 | -10612 | 20022 | 4616 | -4542 | 0.246 | 303 | 39 | 0.129
3/14/2025 | 19 | 83846 | 11572 | -11462 | 21288 | 4952 | -4905 | 0.254 | 77 | 4 | 0.052
3/14/2025 | 20 | 85305 | 11984 | -11653 | 21729 | 5129 | -4987 | 0.255 | 145 | 6 | 0.041
3/14/2025 | 21 | 83791 | 12259 | -11812 | 21645 | 5247 | -5056 | 0.259 | 541 | 30 | 0.055
3/14/2025 | 22 | 81228 | 11846 | -11185 | 21443 | 5070 | -4787 | 0.265 | 516 | 40 | 0.078
3/14/2025 | 23 | 77743 | 11368 | -10557 | 21071 | 4865 | -4518 | 0.273 | 707 | 80 | 0.113
3/14/2025 | 24 | 74314 | 11097 | -10533 | 20751 | 4750 | -4508 | 0.28 | 527 | 31 | 0.059
3/15/2025 | 1 | 72047 | 12314 | -11649 | 19218 | 5271 | -4986 | 0.268 | 166 | 0 | 0
3/15/2025 | 2 | 70065 | 12753 | -11778 | 19228 | 5458 | -5041 | 0.277 | 323 | 1 | 0.003
3/15/2025 | 3 | 68764 | 12636 | -12035 | 18838 | 5408 | -5151 | 0.275 | 708 | 16 | 0.023
3/15/2025 | 4 | 68258 | 12917 | -12602 | 18460 | 5528 | -5394 | 0.271 | 889 | 150 | 0.169
3/15/2025 | 5 | 69421 | 13235 | -13206 | 18460 | 5664 | -5652 | 0.266 | 402 | 1 | 0.002
3/15/2025 | 6 | 71644 | 13859 | -13781 | 18452 | 5932 | -5898 | 0.258 | 560 | 39 | 0.07
3/15/2025 | 7 | 74758 | 13957 | -13664 | 19025 | 5974 | -5848 | 0.255 | 1192 | 142 | 0.119
3/15/2025 | 8 | 77582 | 13843 | -13872 | 18403 | 5925 | -5937 | 0.237 | 516 | 49 | 0.095
3/15/2025 | 9 | 77590 | 11173 | -11857 | 14482 | 4782 | -5075 | 0.184 | 0 | 0 | 0
3/15/2025 | 10 | 76651 | 10549 | -11807 | 12436 | 4515 | -5053 | 0.158 | 0 | 0 | 0
3/15/2025 | 11 | 74138 | 10437 | -11934 | 11464 | 4467 | -5108 | 0.149 | 0 | 0 | 0
3/15/2025 | 12 | 71167 | 10598 | -12050 | 10648 | 4536 | -5158 | 0.144 | 0 | 0 | 0
3/15/2025 | 13 | 68985 | 10932 | -12517 | 10485 | 4679 | -5358 | 0.145 | 0 | 0 | 0
3/15/2025 | 14 | 67473 | 11032 | -12640 | 10442 | 4721 | -5410 | 0.148 | 0 | 0 | 0
3/15/2025 | 15 | 66779 | 11215 | -12566 | 10626 | 4800 | -5378 | 0.154 | 0 | 0 | 0
3/15/2025 | 16 | 67104 | 11197 | -12486 | 10722 | 4793 | -5344 | 0.155 | 0 | 0 | 0
3/15/2025 | 17 | 69146 | 11564 | -12592 | 11367 | 4950 | -5389 | 0.16 | 30 | 0 | 0
3/15/2025 | 18 | 72601 | 11412 | -11698 | 13180 | 4884 | -5007 | 0.181 | 0 | 0 | 0
3/15/2025 | 19 | 77299 | 12299 | -12328 | 16279 | 5264 | -5276 | 0.211 | 98 | 10 | 0.102
3/15/2025 | 20 | 80095 | 11987 | -11901 | 17706 | 5130 | -5094 | 0.221 | 854 | 134 | 0.157
3/15/2025 | 21 | 79594 | 11361 | -11489 | 18111 | 4863 | -4917 | 0.227 | 815 | 131 | 0.161
3/15/2025 | 22 | 77400 | 10996 | -10637 | 18148 | 4706 | -4552 | 0.235 | 1146 | 231 | 0.202
3/15/2025 | 23 | 73825 | 11394 | -10688 | 18277 | 4876 | -4575 | 0.249 | 1037 | 198 | 0.191
3/15/2025 | 24 | 70981 | 11432 | -10622 | 18132 | 4893 | -4546 | 0.257 | 1149 | 270 | 0.235
3/16/2025 | 1 | 69174 | 11586 | -10909 | 18047 | 4959 | -4669 | 0.263 | 809 | 110 | 0.136
3/16/2025 | 2 | 67484 | 11692 | -11108 | 17842 | 5004 | -4754 | 0.266 | 563 | 22 | 0.039
3/16/2025 | 3 | 66591 | 11893 | -11295 | 17760 | 5090 | -4834 | 0.268 | 875 | 127 | 0.145
3/16/2025 | 4 | 66824 | 11906 | -11562 | 18033 | 5096 | -4949 | 0.271 | 964 | 210 | 0.218
3/16/2025 | 5 | 67100 | 11889 | -11679 | 17681 | 5089 | -4999 | 0.264 | 733 | 127 | 0.173
3/16/2025 | 6 | 69198 | 11933 | -12015 | 17460 | 5108 | -5142 | 0.252 | 574 | 68 | 0.118
3/16/2025 | 7 | 72263 | 11461 | -11835 | 17926 | 4905 | -5065 | 0.247 | 115 | 1 | 0.009
3/16/2025 | 8 | 74392 | 10774 | -11666 | 17030 | 4611 | -4993 | 0.227 | 361 | 69 | 0.191
3/16/2025 | 9 | 74580 | 8957 | -10416 | 13170 | 3834 | -4458 | 0.172 | 43 | 0 | 0
3/16/2025 | 10 | 74143 | 9234 | -11366 | 11591 | 3952 | -4864 | 0.148 | 0 | 0 | 0
3/16/2025 | 11 | 71541 | 9821 | -11993 | 10679 | 4203 | -5133 | 0.141 | 0 | 0 | 0
3/16/2025 | 12 | 69101 | 10237 | -12286 | 10297 | 4382 | -5258 | 0.141 | 0 | 0 | 0
3/16/2025 | 13 | 67312 | 10269 | -12121 | 9980 | 4395 | -5188 | 0.14 | 0 | 0 | 0
3/16/2025 | 14 | 65890 | 9914 | -11692 | 9762 | 4243 | -5004 | 0.14 | 0 | 0 | 0
3/16/2025 | 15 | 65970 | 9785 | -11708 | 9658 | 4188 | -5011 | 0.138 | 0 | 0 | 0
3/16/2025 | 16 | 67872 | 9784 | -11736 | 10291 | 4188 | -5023 | 0.143 | 0 | 0 | 0
3/16/2025 | 17 | 71288 | 9728 | -11456 | 11712 | 4164 | -4903 | 0.158 | 0 | 0 | 0
3/16/2025 | 18 | 74408 | 10000 | -10560 | 13589 | 4280 | -4520 | 0.181 | 0 | 0 | 0
3/16/2025 | 19 | 77793 | 12560 | -12389 | 16551 | 5376 | -5303 | 0.213 | 651 | 50 | 0.077
3/16/2025 | 20 | 80378 | 12598 | -12199 | 17807 | 5392 | -5221 | 0.223 | 1007 | 258 | 0.256
3/16/2025 | 21 | 79542 | 12186 | -11703 | 18312 | 5216 | -5009 | 0.231 | 1087 | 272 | 0.25
3/16/2025 | 22 | 76902 | 12581 | -12022 | 18147 | 5385 | -5146 | 0.237 | 1520 | 476 | 0.313
3/16/2025 | 23 | 72627 | 12745 | -11769 | 17708 | 5455 | -5037 | 0.246 | 1195 | 391 | 0.327
3/16/2025 | 24 | 68958 | 12738 | -11895 | 17261 | 5452 | -5091 | 0.252 | 994 | 323 | 0.325
3/17/2025 | 1 | 67617 | 12077 | -11720 | 17276 | 5169 | -5016 | 0.256 | 1049 | 180 | 0.172
3/17/2025 | 2 | 66573 | 12190 | -11978 | 17573 | 5217 | -5126 | 0.264 | 779 | 219 | 0.281
3/17/2025 | 3 | 65641 | 11942 | -11832 | 17602 | 5111 | -5064 | 0.268 | 702 | 162 | 0.231
3/17/2025 | 4 | 66024 | 11756 | -11571 | 17802 | 5032 | -4952 | 0.27 | 1131 | 289 | 0.256
3/17/2025 | 5 | 68558 | 11374 | -11316 | 18089 | 4868 | -4843 | 0.264 | 958 | 250 | 0.261
3/17/2025 | 6 | 73539 | 11863 | -11809 | 18777 | 5077 | -5054 | 0.255 | 633 | 110 | 0.174
3/17/2025 | 7 | 80308 | 11412 | -11440 | 19443 | 4884 | -4896 | 0.242 | 770 | 128 | 0.166
3/17/2025 | 8 | 84638 | 11075 | -11196 | 19297 | 4740 | -4792 | 0.228 | 1090 | 264 | 0.242
3/17/2025 | 9 | 84744 | 10024 | -10555 | 18196 | 4290 | -4518 | 0.213 | 1046 | 278 | 0.266
3/17/2025 | 10 | 82580 | 9805 | -10558 | 16361 | 4197 | -4518 | 0.196 | 34 | 5 | 0.147
3/17/2025 | 11 | 78370 | 10734 | -11277 | 14624 | 4594 | -4826 | 0.185 | 0 | 0 | 0
3/17/2025 | 12 | 74799 | 11370 | -12029 | 13002 | 4866 | -5148 | 0.172 | 0 | 0 | 0
3/17/2025 | 13 | 72891 | 10931 | -11746 | 12612 | 4678 | -5027 | 0.17 | 0 | 0 | 0
3/17/2025 | 14 | 71260 | 11004 | -11612 | 12197 | 4710 | -4970 | 0.169 | 0 | 0 | 0
3/17/2025 | 15 | 71056 | 11266 | -11771 | 12156 | 4822 | -5038 | 0.169 | 0 | 0 | 0
3/17/2025 | 16 | 72050 | 11585 | -12167 | 12221 | 4958 | -5208 | 0.168 | 0 | 0 | 0
3/17/2025 | 17 | 75024 | 11610 | -12305 | 13041 | 4969 | -5266 | 0.171 | 0 | 0 | 0
3/17/2025 | 18 | 78130 | 12686 | -12953 | 14210 | 5430 | -5544 | 0.181 | 0 | 0 | 0
3/17/2025 | 19 | 81948 | 13844 | -14040 | 16976 | 5925 | -6009 | 0.207 | 339 | 22 | 0.065
3/17/2025 | 20 | 84800 | 14583 | -14608 | 18211 | 6242 | -6253 | 0.215 | 656 | 81 | 0.123
3/17/2025 | 21 | 83598 | 14813 | -14639 | 18005 | 6340 | -6265 | 0.216 | 882 | 163 | 0.185
3/17/2025 | 22 | 80741 | 14356 | -14292 | 17747 | 6144 | -6117 | 0.22 | 940 | 189 | 0.201
3/17/2025 | 23 | 76251 | 13987 | -13686 | 17481 | 5986 | -5858 | 0.23 | 958 | 185 | 0.193
3/17/2025 | 24 | 72301 | 13779 | -13375 | 17526 | 5898 | -5725 | 0.243 | 868 | 194 | 0.224
3/18/2025 | 1 | 70070 | 14070 | -13628 | 17159 | 6022 | -5833 | 0.246 | 504 | 16 | 0.032
3/18/2025 | 2 | 68323 | 14506 | -13781 | 16988 | 6208 | -5899 | 0.251 | 411 | 19 | 0.046
3/18/2025 | 3 | 67196 | 14208 | -13473 | 16801 | 6081 | -5767 | 0.252 | 391 | 9 | 0.023
3/18/2025 | 4 | 67586 | 14042 | -13256 | 16503 | 6010 | -5673 | 0.246 | 297 | 0 | 0
3/18/2025 | 5 | 69972 | 13509 | -12694 | 16942 | 5782 | -5433 | 0.244 | 250 | 3 | 0.012
3/18/2025 | 6 | 75078 | 13962 | -12988 | 17946 | 5976 | -5559 | 0.241 | 343 | 9 | 0.026
3/18/2025 | 7 | 82674 | 14057 | -13620 | 19149 | 6017 | -5829 | 0.233 | 674 | 58 | 0.086
3/18/2025 | 8 | 86640 | 13564 | -13276 | 18547 | 5806 | -5682 | 0.215 | 497 | 72 | 0.145
3/18/2025 | 9 | 84678 | 10867 | -11338 | 15271 | 4651 | -4853 | 0.179 | 0 | 0 | 0
3/18/2025 | 10 | 80327 | 10694 | -11615 | 13512 | 4577 | -4971 | 0.165 | 0 | 0 | 0
3/18/2025 | 11 | 75912 | 10947 | -12005 | 14220 | 4685 | -5138 | 0.184 | 0 | 0 | 0
3/18/2025 | 12 | 72236 | 10602 | -11734 | 12019 | 4538 | -5022 | 0.162 | 0 | 0 | 0
3/18/2025 | 13 | 69411 | 10401 | -11681 | 11888 | 4452 | -4999 | 0.166 | 0 | 0 | 0
3/18/2025 | 14 | 66751 | 10263 | -11330 | 11444 | 4393 | -4849 | 0.167 | 0 | 0 | 0
3/18/2025 | 15 | 66468 | 10260 | -11150 | 11488 | 4391 | -4772 | 0.169 | 0 | 0 | 0
3/18/2025 | 16 | 67300 | 10173 | -10974 | 11842 | 4354 | -4697 | 0.173 | 0 | 0 | 0
3/18/2025 | 17 | 69644 | 10475 | -11122 | 12677 | 4483 | -4760 | 0.18 | 0 | 0 | 0
3/18/2025 | 18 | 74572 | 10807 | -11483 | 13536 | 4625 | -4915 | 0.179 | 0 | 0 | 0
3/18/2025 | 19 | 79632 | 11909 | -11659 | 16748 | 5097 | -4990 | 0.211 | 522 | 33 | 0.063
3/18/2025 | 20 | 83148 | 12414 | -12391 | 18191 | 5313 | -5304 | 0.219 | 709 | 62 | 0.087
3/18/2025 | 21 | 82711 | 12821 | -12856 | 18478 | 5488 | -5502 | 0.223 | 992 | 159 | 0.16
3/18/2025 | 22 | 79618 | 12972 | -12616 | 18269 | 5552 | -5399 | 0.23 | 727 | 70 | 0.096
3/18/2025 | 23 | 75387 | 12548 | -11695 | 18243 | 5370 | -5005 | 0.244 | 208 | 14 | 0.067
3/18/2025 | 24 | 71544 | 12328 | -11413 | 18413 | 5276 | -4885 | 0.26 | 794 | 79 | 0.099
3/19/2025 | 1 | 69303 | 12585 | -11587 | 18343 | 5386 | -4959 | 0.267 | 1066 | 55 | 0.052
3/19/2025 | 2 | 67685 | 12452 | -11143 | 18474 | 5330 | -4769 | 0.276 | 939 | 53 | 0.056
3/19/2025 | 3 | 66532 | 12581 | -11191 | 18145 | 5385 | -4790 | 0.276 | 1230 | 165 | 0.134
3/19/2025 | 4 | 67507 | 12424 | -11336 | 18150 | 5318 | -4852 | 0.271 | 1258 | 135 | 0.107
3/19/2025 | 5 | 69740 | 13107 | -11732 | 18794 | 5610 | -5021 | 0.273 | 1066 | 74 | 0.069
3/19/2025 | 6 | 74970 | 13685 | -12369 | 19618 | 5857 | -5294 | 0.265 | 806 | 62 | 0.077
3/19/2025 | 7 | 82515 | 13450 | -12900 | 21236 | 5756 | -5521 | 0.258 | 1119 | 102 | 0.091
3/19/2025 | 8 | 85545 | 13124 | -12561 | 19677 | 5617 | -5376 | 0.231 | 838 | 103 | 0.123
3/19/2025 | 9 | 82160 | 11728 | -11430 | 14773 | 5020 | -4892 | 0.181 | 14 | 1 | 0.071
3/19/2025 | 10 | 78024 | 11023 | -11277 | 12625 | 4718 | -4826 | 0.161 | 0 | 0 | 0
3/19/2025 | 11 | 73564 | 11238 | -11315 | 12333 | 4810 | -4843 | 0.167 | 0 | 0 | 0
3/19/2025 | 12 | 70968 | 10914 | -11084 | 12048 | 4671 | -4744 | 0.169 | 0 | 0 | 0
3/19/2025 | 13 | 69090 | 11123 | -11022 | 11700 | 4761 | -4718 | 0.17 | 0 | 0 | 0
3/19/2025 | 14 | 68765 | 11029 | -11134 | 11184 | 4721 | -4765 | 0.162 | 0 | 0 | 0
3/19/2025 | 15 | 68005 | 11132 | -11200 | 11102 | 4764 | -4793 | 0.163 | 0 | 0 | 0
3/19/2025 | 16 | 68840 | 11358 | -11540 | 11524 | 4861 | -4939 | 0.167 | 0 | 0 | 0
3/19/2025 | 17 | 71811 | 11912 | -11554 | 12608 | 5098 | -4945 | 0.177 | 45 | 0 | 0
3/19/2025 | 18 | 77040 | 11939 | -11641 | 14269 | 5110 | -4982 | 0.186 | 109 | 7 | 0.064
3/19/2025 | 19 | 80668 | 13191 | -12106 | 17343 | 5646 | -5181 | 0.218 | 806 | 87 | 0.108
3/19/2025 | 20 | 82614 | 14069 | -12788 | 17908 | 6022 | -5473 | 0.22 | 928 | 209 | 0.225
3/19/2025 | 21 | 81349 | 13902 | -12599 | 18001 | 5950 | -5393 | 0.225 | 1339 | 399 | 0.298
3/19/2025 | 22 | 78645 | 13151 | -11724 | 17831 | 5629 | -5018 | 0.23 | 2043 | 607 | 0.297
3/19/2025 | 23 | 74404 | 13106 | -11727 | 17680 | 5610 | -5019 | 0.241 | 1405 | 386 | 0.275
3/19/2025 | 24 | 69932 | 14019 | -12539 | 17134 | 6000 | -5367 | 0.249 | 1548 | 574 | 0.371
3/20/2025 | 1 | 68030 | 14991 | -13509 | 16795 | 6416 | -5782 | 0.251 | 1145 | 285 | 0.249
3/20/2025 | 2 | 66611 | 15155 | -13958 | 16671 | 6486 | -5974 | 0.253 | 1088 | 296 | 0.272
3/20/2025 | 3 | 65487 | 15360 | -14152 | 16148 | 6574 | -6057 | 0.25 | 624 | 122 | 0.196
3/20/2025 | 4 | 65995 | 15317 | -14119 | 16182 | 6556 | -6043 | 0.248 | 570 | 79 | 0.139
3/20/2025 | 5 | 68553 | 15365 | -14354 | 16803 | 6576 | -6144 | 0.248 | 412 | 18 | 0.044
3/20/2025 | 6 | 73518 | 16231 | -15160 | 18041 | 6947 | -6488 | 0.248 | 216 | 14 | 0.065
3/20/2025 | 7 | 79876 | 16576 | -15348 | 18990 | 7095 | -6569 | 0.241 | 1245 | 387 | 0.311
3/20/2025 | 8 | 83437 | 14992 | -14080 | 17918 | 6416 | -6026 | 0.217 | 1382 | 408 | 0.295
3/20/2025 | 9 | 82335 | 11850 | -12006 | 13947 | 5072 | -5139 | 0.169 | 268 | 14 | 0.052
3/20/2025 | 10 | 77969 | 11525 | -11968 | 11908 | 4932 | -5123 | 0.151 | 0 | 0 | 0
3/20/2025 | 11 | 73391 | 11678 | -12130 | 11409 | 4998 | -5192 | 0.154 | 0 | 0 | 0
3/20/2025 | 12 | 70851 | 11591 | -12188 | 11775 | 4961 | -5217 | 0.164 | 0 | 0 | 0
3/20/2025 | 13 | 68724 | 11663 | -12560 | 11740 | 4992 | -5376 | 0.167 | 0 | 0 | 0
3/20/2025 | 14 | 67749 | 12055 | -13009 | 11378 | 5160 | -5568 | 0.164 | 0 | 0 | 0
3/20/2025 | 15 | 67500 | 12623 | -13576 | 11089 | 5402 | -5810 | 0.161 | 0 | 0 | 0
3/20/2025 | 16 | 69897 | 12456 | -13440 | 11374 | 5331 | -5753 | 0.159 | 0 | 0 | 0
3/20/2025 | 17 | 71952 | 13101 | -13470 | 11505 | 5607 | -5765 | 0.159 | 0 | 0 | 0
3/20/2025 | 18 | 76599 | 11553 | -11308 | 12370 | 4944 | -4840 | 0.162 | 0 | 0 | 0
3/20/2025 | 19 | 80968 | 13176 | -12352 | 14840 | 5639 | -5287 | 0.186 | 1058 | 271 | 0.256
3/20/2025 | 20 | 83925 | 13374 | -12722 | 16016 | 5724 | -5445 | 0.193 | 961 | 271 | 0.282
3/20/2025 | 21 | 82536 | 13853 | -12898 | 16400 | 5929 | -5520 | 0.201 | 700 | 155 | 0.221
3/20/2025 | 22 | 79031 | 14179 | -12928 | 16422 | 6069 | -5533 | 0.211 | 912 | 177 | 0.194
3/20/2025 | 23 | 74922 | 14431 | -13391 | 16207 | 6176 | -5732 | 0.219 | 403 | 84 | 0.208
3/20/2025 | 24 | 71026 | 14550 | -13611 | 15943 | 6227 | -5825 | 0.227 | 544 | 116 | 0.213
3/21/2025 | 1 | 68429 | 15052 | -13697 | 15953 | 6442 | -5863 | 0.237 | 456 | 55 | 0.121
3/21/2025 | 2 | 66837 | 14684 | -13501 | 15799 | 6285 | -5778 | 0.24 | 425 | 53 | 0.125
3/21/2025 | 3 | 65788 | 14384 | -13299 | 15156 | 6156 | -5692 | 0.234 | 603 | 130 | 0.216
3/21/2025 | 4 | 65969 | 14531 | -13674 | 15038 | 6219 | -5852 | 0.231 | 478 | 71 | 0.149
3/21/2025 | 5 | 67658 | 14835 | -13754 | 15483 | 6350 | -5887 | 0.232 | 440 | 63 | 0.143
3/21/2025 | 6 | 72244 | 15037 | -13755 | 16460 | 6436 | -5887 | 0.231 | 635 | 134 | 0.211
3/21/2025 | 7 | 78714 | 15029 | -14006 | 17540 | 6432 | -5994 | 0.225 | 679 | 160 | 0.236
3/21/2025 | 8 | 81856 | 14214 | -13378 | 16553 | 6083 | -5726 | 0.204 | 967 | 289 | 0.299
3/21/2025 | 9 | 80714 | 10446 | -10358 | 13504 | 4471 | -4433 | 0.168 | 280 | 60 | 0.214
3/21/2025 | 10 | 76826 | 10219 | -10366 | 11238 | 4374 | -4437 | 0.146 | 0 | 0 | 0
3/21/2025 | 11 | 73650 | 10576 | -10712 | 10387 | 4526 | -4585 | 0.14 | 0 | 0 | 0
3/21/2025 | 12 | 71738 | 10230 | -10626 | 10485 | 4379 | -4548 | 0.145 | 0 | 0 | 0
3/21/2025 | 13 | 69268 | 10415 | -10823 | 10565 | 4458 | -4632 | 0.151 | 0 | 0 | 0
3/21/2025 | 14 | 68342 | 10380 | -11036 | 10374 | 4443 | -4724 | 0.149 | 0 | 0 | 0
3/21/2025 | 15 | 68715 | 10747 | -11640 | 10571 | 4600 | -4982 | 0.15 | 0 | 0 | 0
3/21/2025 | 16 | 69586 | 10808 | -11467 | 10945 | 4626 | -4908 | 0.155 | 0 | 0 | 0
3/21/2025 | 17 | 71567 | 11376 | -11796 | 11166 | 4868 | -5049 | 0.154 | 0 | 0 | 0
3/21/2025 | 18 | 76053 | 11556 | -11516 | 12612 | 4946 | -4929 | 0.166 | 0 | 0 | 0
3/21/2025 | 19 | 79594 | 12957 | -12487 | 15593 | 5546 | -5345 | 0.197 | 782 | 51 | 0.065
3/21/2025 | 20 | 80828 | 13738 | -13107 | 15961 | 5880 | -5610 | 0.199 | 679 | 51 | 0.075
3/21/2025 | 21 | 79615 | 13344 | -12720 | 15600 | 5711 | -5444 | 0.198 | 588 | 28 | 0.048
3/21/2025 | 22 | 77435 | 13404 | -12958 | 15455 | 5737 | -5546 | 0.201 | 365 | 2 | 0.005
3/21/2025 | 23 | 73824 | 14281 | -13624 | 15262 | 6112 | -5831 | 0.209 | 246 | 0 | 0
3/21/2025 | 24 | 70027 | 13388 | -12609 | 14507 | 5730 | -5397 | 0.21 | 369 | 29 | 0.079
3/22/2025 | 1 | 67562 | 13598 | -12976 | 13879 | 5820 | -5554 | 0.207 | 330 | 7 | 0.021
3/22/2025 | 2 | 65734 | 14267 | -13280 | 13712 | 6106 | -5684 | 0.212 | 461 | 0 | 0
3/22/2025 | 3 | 64386 | 14262 | -13236 | 13330 | 6104 | -5665 | 0.21 | 436 | 3 | 0.007
3/22/2025 | 4 | 64412 | 12544 | -12088 | 13064 | 5369 | -5174 | 0.204 | 801 | 179 | 0.223
3/22/2025 | 5 | 65468 | 12657 | -12258 | 13076 | 5417 | -5247 | 0.201 | 471 | 38 | 0.081
3/22/2025 | 6 | 67822 | 12322 | -12132 | 13275 | 5273 | -5193 | 0.196 | 220 | 0 | 0
3/22/2025 | 7 | 70582 | 11984 | -11854 | 12974 | 5129 | -5074 | 0.184 | 638 | 77 | 0.121
3/22/2025 | 8 | 73333 | 10644 | -11191 | 12352 | 4555 | -4790 | 0.166 | 504 | 125 | 0.248
3/22/2025 | 9 | 73107 | 9264 | -10308 | 10035 | 3965 | -4412 | 0.133 | 0 | 0 | 0
3/22/2025 | 10 | 71268 | 9511 | -10998 | 8945 | 4071 | -4707 | 0.119 | 0 | 0 | 0
3/22/2025 | 11 | 67741 | 10177 | -11875 | 8725 | 4356 | -5082 | 0.121 | 0 | 0 | 0
3/22/2025 | 12 | 64702 | 10644 | -12030 | 8314 | 4556 | -5149 | 0.122 | 0 | 0 | 0
3/22/2025 | 13 | 63322 | 10816 | -12283 | 8272 | 4629 | -5257 | 0.124 | 0 | 0 | 0
3/22/2025 | 14 | 63297 | 10447 | -11912 | 8254 | 4471 | -5098 | 0.123 | 0 | 0 | 0
3/22/2025 | 15 | 64434 | 10320 | -11681 | 8374 | 4417 | -5000 | 0.124 | 0 | 0 | 0
3/22/2025 | 16 | 66352 | 10225 | -11252 | 8853 | 4376 | -4816 | 0.129 | 0 | 0 | 0
3/22/2025 | 17 | 67871 | 11022 | -11588 | 9427 | 4718 | -4960 | 0.136 | 0 | 0 | 0
3/22/2025 | 18 | 71562 | 9742 | -9250 | 11757 | 4169 | -3959 | 0.166 | 0 | 0 | 0
3/22/2025 | 19 | 74062 | 10662 | -9812 | 14496 | 4563 | -4199 | 0.198 | 243 | 24 | 0.099
3/22/2025 | 20 | 76487 | 11124 | -10422 | 14598 | 4761 | -4460 | 0.193 | 377 | 41 | 0.109
3/22/2025 | 21 | 75914 | 11487 | -10424 | 14394 | 4916 | -4461 | 0.193 | 915 | 28 | 0.031
3/22/2025 | 22 | 73845 | 11485 | -10316 | 14116 | 4916 | -4415 | 0.195 | 1080 | 0 | 0
3/22/2025 | 23 | 70764 | 12753 | -11840 | 14390 | 5458 | -5068 | 0.206 | 320 | 0 | 0
3/22/2025 | 24 | 67173 | 12691 | -11786 | 13833 | 5432 | -5044 | 0.209 | 457 | 0 | 0
3/23/2025 | 1 | 65058 | 12236 | -11331 | 14167 | 5237 | -4850 | 0.221 | 888 | 0 | 0
3/23/2025 | 2 | 62977 | 12213 | -11187 | 14145 | 5228 | -4788 | 0.228 | 1018 | 0 | 0
3/23/2025 | 3 | 61543 | 12233 | -11024 | 14209 | 5236 | -4718 | 0.235 | 895 | 0 | 0
3/23/2025 | 4 | 60751 | 12410 | -11043 | 13839 | 5311 | -4726 | 0.232 | 762 | 0 | 0
3/23/2025 | 5 | 61114 | 12320 | -10997 | 13855 | 5273 | -4707 | 0.231 | 552 | 0 | 0
3/23/2025 | 6 | 62839 | 12164 | -11056 | 13519 | 5206 | -4732 | 0.219 | 114 | 0 | 0
3/23/2025 | 7 | 65573 | 11897 | -10754 | 13865 | 5092 | -4603 | 0.215 | 524 | 27 | 0.052
3/23/2025 | 8 | 68447 | 10270 | -9868 | 13254 | 4396 | -4223 | 0.195 | 899 | 185 | 0.206
3/23/2025 | 9 | 68371 | 8810 | -8689 | 11527 | 3771 | -3719 | 0.169 | 0 | 0 | 0
3/23/2025 | 10 | 66832 | 9781 | -9925 | 8593 | 4186 | -4248 | 0.128 | 0 | 0 | 0
3/23/2025 | 11 | 64262 | 10336 | -10477 | 8151 | 4424 | -4484 | 0.126 | 0 | 0 | 0
3/23/2025 | 12 | 62890 | 10600 | -10874 | 7904 | 4537 | -4654 | 0.124 | 0 | 0 | 0
3/23/2025 | 13 | 61829 | 11118 | -11351 | 7905 | 4758 | -4858 | 0.127 | 0 | 0 | 0
3/23/2025 | 14 | 62379 | 11457 | -12161 | 7858 | 4903 | -5205 | 0.123 | 0 | 0 | 0
3/23/2025 | 15 | 63381 | 11231 | -12153 | 7901 | 4807 | -5202 | 0.12 | 0 | 0 | 0
3/23/2025 | 16 | 65388 | 11129 | -11936 | 8589 | 4763 | -5108 | 0.128 | 0 | 0 | 0
3/23/2025 | 17 | 68183 | 11082 | -11575 | 9333 | 4743 | -4954 | 0.135 | 0 | 0 | 0
3/23/2025 | 18 | 72900 | 10755 | -10471 | 11073 | 4603 | -4482 | 0.153 | 31 | 0 | 0
3/23/2025 | 19 | 76747 | 12914 | -11749 | 14398 | 5528 | -5029 | 0.191 | 1350 | 186 | 0.138
3/23/2025 | 20 | 78618 | 14201 | -12736 | 15409 | 6078 | -5451 | 0.2 | 1524 | 233 | 0.153
3/23/2025 | 21 | 77388 | 14323 | -12750 | 14857 | 6130 | -5457 | 0.197 | 1871 | 383 | 0.205
3/23/2025 | 22 | 74381 | 13818 | -12537 | 14585 | 5914 | -5366 | 0.2 | 1747 | 445 | 0.255
3/23/2025 | 23 | 69568 | 15166 | -13521 | 14001 | 6491 | -5787 | 0.206 | 1451 | 389 | 0.268
3/23/2025 | 24 | 65409 | 15184 | -13434 | 13456 | 6499 | -5749 | 0.212 | 1421 | 415 | 0.292
3/24/2025 | 1 | 63327 | 14848 | -13336 | 13632 | 6355 | -5708 | 0.22 | 1280 | 332 | 0.259
3/24/2025 | 2 | 61562 | 14880 | -13362 | 13130 | 6369 | -5719 | 0.218 | 1315 | 332 | 0.252
3/24/2025 | 3 | 60379 | 15002 | -13537 | 12799 | 6421 | -5794 | 0.217 | 966 | 183 | 0.189
3/24/2025 | 4 | 60329 | 15188 | -13768 | 12905 | 6501 | -5893 | 0.219 | 924 | 192 | 0.208
3/24/2025 | 5 | 62403 | 15208 | -13996 | 13318 | 6509 | -5990 | 0.218 | 523 | 59 | 0.113
3/24/2025 | 6 | 67249 | 14662 | -13989 | 14772 | 6275 | -5987 | 0.222 | 444 | 58 | 0.131
3/24/2025 | 7 | 73674 | 14817 | -14708 | 15462 | 6341 | -6295 | 0.21 | 605 | 125 | 0.207
3/24/2025 | 8 | 77243 | 13935 | -14358 | 14077 | 5964 | -6145 | 0.181 | 609 | 196 | 0.322
3/24/2025 | 9 | 75840 | 10770 | -11911 | 11156 | 4610 | -5098 | 0.143 | 0 | 0 | 0
3/24/2025 | 10 | 74203 | 10168 | -11927 | 9708 | 4352 | -5105 | 0.124 | 0 | 0 | 0
3/24/2025 | 11 | 71829 | 10566 | -11969 | 9232 | 4522 | -5123 | 0.123 | 0 | 0 | 0
3/24/2025 | 12 | 70009 | 11035 | -12280 | 9340 | 4723 | -5256 | 0.128 | 0 | 0 | 0
3/24/2025 | 13 | 69178 | 12048 | -13231 | 9134 | 5157 | -5663 | 0.127 | 0 | 0 | 0
3/24/2025 | 14 | 69243 | 11557 | -12574 | 8947 | 4946 | -5382 | 0.125 | 0 | 0 | 0
3/24/2025 | 15 | 69739 | 11907 | -12807 | 10249 | 5096 | -5481 | 0.143 | 0 | 0 | 0
3/24/2025 | 16 | 72875 | 11863 | -12788 | 9478 | 5077 | -5473 | 0.126 | 0 | 0 | 0
3/24/2025 | 17 | 76690 | 11699 | -12502 | 10482 | 5007 | -5351 | 0.134 | 0 | 0 | 0
3/24/2025 | 18 | 80483 | 11226 | -11527 | 13294 | 4805 | -4934 | 0.164 | 14 | 0 | 0
3/24/2025 | 19 | 83575 | 15980 | -15675 | 17150 | 6840 | -6709 | 0.206 | 858 | 114 | 0.133
3/24/2025 | 20 | 84659 | 15808 | -15432 | 18487 | 6766 | -6605 | 0.219 | 948 | 168 | 0.177
3/24/2025 | 21 | 82159 | 15845 | -15332 | 18286 | 6781 | -6562 | 0.224 | 503 | 81 | 0.161
3/24/2025 | 22 | 77862 | 14774 | -14195 | 18103 | 6324 | -6075 | 0.234 | 658 | 92 | 0.14
3/24/2025 | 23 | 72619 | 13606 | -12834 | 17754 | 5823 | -5493 | 0.246 | 596 | 153 | 0.257
3/24/2025 | 24 | 67518 | 13330 | -12330 | 17248 | 5706 | -5277 | 0.258 | 523 | 90 | 0.172
3/25/2025 | 1 | 64474 | 13258 | -12186 | 16945 | 5674 | -5215 | 0.266 | 471 | 110 | 0.234
3/25/2025 | 2 | 62450 | 12458 | -11594 | 16281 | 5332 | -4962 | 0.263 | 563 | 119 | 0.211
3/25/2025 | 3 | 60854 | 12398 | -11434 | 16220 | 5306 | -4894 | 0.269 | 446 | 66 | 0.148
3/25/2025 | 4 | 60559 | 12075 | -11296 | 15864 | 5168 | -4834 | 0.264 | 613 | 85 | 0.139
3/25/2025 | 5 | 62460 | 12193 | -11691 | 16096 | 5219 | -5004 | 0.259 | 1110 | 76 | 0.068
3/25/2025 | 6 | 67214 | 12570 | -12354 | 16976 | 5380 | -5288 | 0.253 | 739 | 5 | 0.007
3/25/2025 | 7 | 72861 | 12936 | -12693 | 18087 | 5537 | -5432 | 0.249 | 1032 | 57 | 0.055
3/25/2025 | 8 | 75825 | 12028 | -12325 | 16632 | 5148 | -5275 | 0.219 | 907 | 110 | 0.121
3/25/2025 | 9 | 73535 | 9316 | -10254 | 14063 | 3987 | -4389 | 0.188 | 0 | 0 | 0
3/25/2025 | 10 | 72707 | 9671 | -10876 | 11918 | 4139 | -4655 | 0.159 | 0 | 0 | 0
3/25/2025 | 11 | 69963 | 9994 | -11068 | 10468 | 4277 | -4737 | 0.145 | 0 | 0 | 0
3/25/2025 | 12 | 68672 | 9906 | -10924 | 9783 | 4240 | -4676 | 0.138 | 0 | 0 | 0
3/25/2025 | 13 | 68704 | 9931 | -11156 | 10053 | 4250 | -4775 | 0.141 | 0 | 0 | 0
3/25/2025 | 14 | 69290 | 10258 | -11380 | 10263 | 4390 | -4870 | 0.144 | 0 | 0 | 0
3/25/2025 | 15 | 70691 | 10176 | -11195 | 10793 | 4356 | -4792 | 0.149 | 0 | 0 | 0
3/25/2025 | 16 | 73019 | 10604 | -11331 | 11784 | 4538 | -4850 | 0.159 | 0 | 0 | 0
3/25/2025 | 17 | 75981 | 10590 | -10771 | 13025 | 4532 | -4610 | 0.171 | 0 | 0 | 0
3/25/2025 | 18 | 79966 | 12047 | -11451 | 15370 | 5156 | -4901 | 0.194 | 0 | 0 | 0
3/25/2025 | 19 | 83448 | 14212 | -13700 | 19176 | 6082 | -5864 | 0.231 | 112 | 16 | 0.143
3/25/2025 | 20 | 83817 | 14231 | -13452 | 19886 | 6091 | -5758 | 0.239 | 741 | 63 | 0.085
3/25/2025 | 21 | 82380 | 13900 | -13307 | 19898 | 5949 | -5696 | 0.243 | 1092 | 69 | 0.063
3/25/2025 | 22 | 78096 | 12628 | -11884 | 19246 | 5405 | -5086 | 0.248 | 1372 | 105 | 0.077
3/25/2025 | 23 | 72562 | 12923 | -11807 | 18354 | 5531 | -5054 | 0.256 | 1178 | 78 | 0.066
3/25/2025 | 24 | 67733 | 12742 | -11689 | 17314 | 5454 | -5003 | 0.258 | 1178 | 66 | 0.056
3/26/2025 | 1 | 64765 | 15080 | -14227 | 16516 | 6454 | -6089 | 0.257 | 640 | 112 | 0.175
3/26/2025 | 2 | 62704 | 14593 | -13940 | 15735 | 6246 | -5967 | 0.253 | 916 | 20 | 0.022
3/26/2025 | 3 | 61238 | 14506 | -13838 | 15423 | 6209 | -5923 | 0.254 | 732 | 0 | 0
3/26/2025 | 4 | 60964 | 14238 | -13791 | 15198 | 6094 | -5902 | 0.251 | 853 | 0 | 0
3/26/2025 | 5 | 62889 | 14131 | -13975 | 15545 | 6048 | -5981 | 0.248 | 872 | 0 | 0
3/26/2025 | 6 | 66685 | 14732 | -14493 | 16130 | 6305 | -6203 | 0.243 | 858 | 13 | 0.015
3/26/2025 | 7 | 72252 | 13451 | -13328 | 16775 | 5757 | -5704 | 0.233 | 1181 | 64 | 0.054
3/26/2025 | 8 | 75388 | 12582 | -12408 | 16049 | 5385 | -5310 | 0.213 | 945 | 166 | 0.176
3/26/2025 | 9 | 75213 | 10027 | -10460 | 12571 | 4291 | -4477 | 0.166 | 0 | 0 | 0
3/26/2025 | 10 | 73265 | 9924 | -10608 | 9958 | 4248 | -4540 | 0.133 | 0 | 0 | 0
3/26/2025 | 11 | 72996 | 9332 | -10263 | 9679 | 3994 | -4392 | 0.129 | 0 | 0 | 0
3/26/2025 | 12 | 72793 | 9758 | -10746 | 9563 | 4176 | -4599 | 0.127 | 0 | 0 | 0
3/26/2025 | 13 | 72828 | 9523 | -10780 | 9482 | 4076 | -4614 | 0.125 | 0 | 0 | 0
3/26/2025 | 14 | 72480 | 9770 | -10744 | 9468 | 4182 | -4598 | 0.127 | 0 | 0 | 0
3/26/2025 | 15 | 73472 | 9775 | -10748 | 9795 | 4184 | -4600 | 0.129 | 0 | 0 | 0
3/26/2025 | 16 | 74588 | 9548 | -10664 | 10120 | 4087 | -4564 | 0.131 | 0 | 0 | 0
3/26/2025 | 17 | 76498 | 10604 | -11441 | 10866 | 4539 | -4897 | 0.139 | 0 | 0 | 0
3/26/2025 | 18 | 79368 | 12727 | -13234 | 13177 | 5447 | -5664 | 0.164 | 0 | 0 | 0
3/26/2025 | 19 | 82552 | 14679 | -15134 | 16894 | 6282 | -6477 | 0.203 | 24 | 0 | 0
3/26/2025 | 20 | 83270 | 15699 | -16049 | 17222 | 6719 | -6869 | 0.206 | 734 | 17 | 0.023
3/26/2025 | 21 | 80553 | 16020 | -16006 | 16641 | 6857 | -6850 | 0.207 | 648 | 0 | 0
3/26/2025 | 22 | 76504 | 15854 | -15252 | 15961 | 6786 | -6528 | 0.21 | 878 | 0 | 0
3/26/2025 | 23 | 71308 | 16353 | -15590 | 15110 | 6999 | -6673 | 0.214 | 68 | 0 | 0
3/26/2025 | 24 | 66279 | 16394 | -15179 | 13505 | 7017 | -6497 | 0.208 | 0 | 0 | 0
3/27/2025 | 1 | 64143 | 16769 | -15975 | 13823 | 7177 | -6837 | 0.218 | 0 | 0 | 0
3/27/2025 | 2 | 62461 | 16866 | -16268 | 12323 | 7219 | -6962 | 0.199 | 0 | 0 | 0
3/27/2025 | 3 | 60736 | 16753 | -16163 | 11847 | 7170 | -6918 | 0.197 | 0 | 0 | 0
3/27/2025 | 4 | 60437 | 16063 | -15699 | 11833 | 6875 | -6719 | 0.197 | 0 | 0 | 0
3/27/2025 | 5 | 61957 | 15683 | -15630 | 11844 | 6712 | -6690 | 0.191 | 0 | 0 | 0
3/27/2025 | 6 | 66079 | 15660 | -15982 | 12550 | 6702 | -6840 | 0.189 | 0 | 0 | 0
3/27/2025 | 7 | 72031 | 14204 | -14738 | 13664 | 6079 | -6308 | 0.188 | 381 | 0 | 0
3/27/2025 | 8 | 75478 | 13296 | -13900 | 13045 | 5691 | -5949 | 0.171 | 264 | 0 | 0
3/27/2025 | 9 | 76275 | 10135 | -11250 | 10419 | 4338 | -4815 | 0.132 | 0 | 0 | 0
3/27/2025 | 10 | 75012 | 9571 | -10741 | 9605 | 4096 | -4597 | 0.123 | 0 | 0 | 0
3/27/2025 | 11 | 73759 | 9892 | -11632 | 9573 | 4234 | -4978 | 0.123 | 0 | 0 | 0
3/27/2025 | 12 | 72172 | 10137 | -11885 | 9449 | 4339 | -5087 | 0.124 | 0 | 0 | 0
3/27/2025 | 13 | 71366 | 10062 | -11983 | 9344 | 4306 | -5129 | 0.123 | 0 | 0 | 0
3/27/2025 | 14 | 72060 | 10372 | -12556 | 9458 | 4439 | -5374 | 0.122 | 0 | 0 | 0
3/27/2025 | 15 | 72463 | 10586 | -12974 | 9792 | 4531 | -5553 | 0.125 | 0 | 0 | 0
3/27/2025 | 16 | 73091 | 10548 | -13018 | 10115 | 4514 | -5572 | 0.128 | 0 | 0 | 0
3/27/2025 | 17 | 74721 | 10950 | -12721 | 10544 | 4686 | -5445 | 0.134 | 0 | 0 | 0
3/27/2025 | 18 | 78396 | 12124 | -13027 | 11344 | 5189 | -5575 | 0.141 | 0 | 0 | 0
3/27/2025 | 19 | 80217 | 15041 | -15188 | 13331 | 6437 | -6501 | 0.166 | 0 | 0 | 0
3/27/2025 | 20 | 81960 | 15683 | -15801 | 14052 | 6712 | -6763 | 0.171 | 0 | 0 | 0
3/27/2025 | 21 | 80182 | 15859 | -15698 | 14060 | 6787 | -6719 | 0.176 | 4 | 0 | 0
3/27/2025 | 22 | 76870 | 15257 | -15023 | 13563 | 6530 | -6430 | 0.177 | 0 | 0 | 0
3/27/2025 | 23 | 72978 | 15681 | -15440 | 13549 | 6712 | -6608 | 0.186 | 124 | 0 | 0
3/27/2025 | 24 | 69384 | 15435 | -15053 | 13569 | 6606 | -6442 | 0.197 | 505 | 0 | 0
3/28/2025 | 1 | 66964 | 13324 | -13227 | 13165 | 5702 | -5661 | 0.197 | 832 | 0 | 0
3/28/2025 | 2 | 64629 | 13324 | -13384 | 11835 | 5702 | -5728 | 0.183 | 853 | 0 | 0
3/28/2025 | 3 | 63037 | 13453 | -13592 | 11522 | 5758 | -5818 | 0.182 | 255 | 0 | 0
3/28/2025 | 4 | 62999 | 13349 | -13730 | 11194 | 5714 | -5877 | 0.176 | 378 | 0 | 0
3/28/2025 | 5 | 64730 | 13962 | -14601 | 11262 | 5976 | -6249 | 0.171 | 542 | 0 | 0
3/28/2025 | 6 | 68551 | 14149 | -14831 | 11994 | 6056 | -6348 | 0.172 | 413 | 0 | 0
3/28/2025 | 7 | 73912 | 13252 | -14237 | 11749 | 5672 | -6094 | 0.155 | 99 | 0 | 0
3/28/2025 | 8 | 76999 | 12151 | -13422 | 11976 | 5200 | -5744 | 0.151 | 478 | 0 | 0
3/28/2025 | 9 | 77892 | 10987 | -12625 | 10787 | 4702 | -5404 | 0.132 | 27 | 0 | 0
3/28/2025 | 10 | 76067 | 10410 | -12283 | 8943 | 4455 | -5257 | 0.11 | 0 | 0 | 0
3/28/2025 | 11 | 73256 | 9445 | -11472 | 8288 | 4042 | -4910 | 0.104 | 0 | 0 | 0
3/28/2025 | 12 | 72506 | 9036 | -11053 | 8293 | 3867 | -4731 | 0.105 | 0 | 0 | 0
3/28/2025 | 13 | 71732 | 10179 | -12444 | 8187 | 4356 | -5326 | 0.104 | 0 | 0 | 0
3/28/2025 | 14 | 71398 | 10291 | -12857 | 8230 | 4405 | -5503 | 0.104 | 0 | 0 | 0
3/28/2025 | 15 | 70625 | 10525 | -12662 | 8341 | 4505 | -5420 | 0.108 | 0 | 0 | 0
3/28/2025 | 16 | 71419 | 10461 | -12573 | 8257 | 4477 | -5381 | 0.106 | 0 | 0 | 0
3/28/2025 | 17 | 72615 | 10653 | -12452 | 8640 | 4559 | -5330 | 0.111 | 0 | 0 | 0
3/28/2025 | 18 | 75290 | 11120 | -12578 | 9596 | 4759 | -5384 | 0.122 | 0 | 0 | 0
3/28/2025 | 19 | 77249 | 14544 | -15590 | 11079 | 6225 | -6673 | 0.14 | 0 | 0 | 0
3/28/2025 | 20 | 79105 | 15070 | -15533 | 11617 | 6450 | -6648 | 0.145 | 0 | 0 | 0
3/28/2025 | 21 | 78610 | 15113 | -15488 | 11808 | 6468 | -6629 | 0.149 | 0 | 0 | 0
3/28/2025 | 22 | 76290 | 14951 | -15171 | 11763 | 6399 | -6493 | 0.153 | 209 | 0 | 0
3/28/2025 | 23 | 73098 | 14041 | -14294 | 11506 | 6010 | -6118 | 0.156 | 0 | 0 | 0
3/28/2025 | 24 | 69161 | 14170 | -14283 | 11168 | 6065 | -6114 | 0.161 | 0 | 0 | 0
3/29/2025 | 1 | 66974 | 13612 | -13719 | 10988 | 5826 | -5872 | 0.164 | 0 | 0 | 0
3/29/2025 | 2 | 65064 | 13589 | -13774 | 10993 | 5816 | -5895 | 0.168 | 0 | 0 | 0
3/29/2025 | 3 | 63785 | 13657 | -13842 | 10865 | 5845 | -5924 | 0.17 | 0 | 0 | 0
3/29/2025 | 4 | 63213 | 13499 | -13666 | 11248 | 5778 | -5849 | 0.177 | 0 | 0 | 0
3/29/2025 | 5 | 63532 | 13298 | -13582 | 10508 | 5692 | -5813 | 0.164 | 0 | 0 | 0
3/29/2025 | 6 | 65570 | 13160 | -13555 | 10848 | 5632 | -5801 | 0.164 | 0 | 0 | 0
3/29/2025 | 7 | 69253 | 12175 | -12792 | 11132 | 5211 | -5474 | 0.158 | 342 | 24 | 0.07
3/29/2025 | 8 | 71656 | 11234 | -12410 | 11316 | 4808 | -5312 | 0.153 | 257 | 8 | 0.031
3/29/2025 | 9 | 71380 | 9254 | -10918 | 8580 | 3961 | -4673 | 0.113 | 0 | 0 | 0
3/29/2025 | 10 | 69294 | 9392 | -11432 | 7884 | 4020 | -4893 | 0.104 | 0 | 0 | 0
3/29/2025 | 11 | 67118 | 9922 | -12510 | 7955 | 4246 | -5354 | 0.106 | 0 | 0 | 0
3/29/2025 | 12 | 64684 | 10094 | -12911 | 7941 | 4320 | -5526 | 0.109 | 0 | 0 | 0
3/29/2025 | 13 | 62796 | 10375 | -13020 | 8047 | 4441 | -5572 | 0.115 | 0 | 0 | 0
3/29/2025 | 14 | 61420 | 10191 | -12492 | 8178 | 4362 | -5347 | 0.122 | 0 | 0 | 0
3/29/2025 | 15 | 62042 | 10192 | -12560 | 8411 | 4362 | -5376 | 0.124 | 0 | 0 | 0
3/29/2025 | 16 | 63650 | 10396 | -12679 | 8370 | 4449 | -5427 | 0.12 | 0 | 0 | 0
3/29/2025 | 17 | 66481 | 10745 | -12752 | 8499 | 4599 | -5458 | 0.118 | 0 | 0 | 0
3/29/2025 | 18 | 70926 | 10085 | -11155 | 9568 | 4317 | -4774 | 0.13 | 0 | 0 | 0
3/29/2025 | 19 | 74460 | 13067 | -13858 | 11780 | 5592 | -5932 | 0.155 | 413 | 0 | 0
3/29/2025 | 20 | 75923 | 13317 | -13907 | 12316 | 5700 | -5952 | 0.16 | 76 | 0 | 0
3/29/2025 | 21 | 76486 | 13346 | -13941 | 12977 | 5712 | -5967 | 0.168 | 184 | 0 | 0
3/29/2025 | 22 | 74234 | 12899 | -13188 | 13049 | 5521 | -5644 | 0.175 | 776 | 0 | 0
3/29/2025 | 23 | 71791 | 12414 | -12693 | 13104 | 5313 | -5432 | 0.182 | 709 | 0 | 0
3/29/2025 | 24 | 69085 | 12044 | -12587 | 13148 | 5155 | -5387 | 0.188 | 874 | 0 | 0
3/30/2025 | 1 | 67115 | 11006 | -11720 | 13084 | 4710 | -5016 | 0.192 | 754 | 0 | 0
3/30/2025 | 2 | 65867 | 10900 | -11854 | 13269 | 4665 | -5074 | 0.198 | 602 | 0 | 0
3/30/2025 | 3 | 64722 | 10971 | -11887 | 12817 | 4696 | -5088 | 0.195 | 690 | 0 | 0
3/30/2025 | 4 | 64416 | 10993 | -11993 | 13021 | 4705 | -5133 | 0.199 | 556 | 0 | 0
3/30/2025 | 5 | 64472 | 10859 | -11967 | 12568 | 4648 | -5122 | 0.191 | 238 | 0 | 0
3/30/2025 | 6 | 66398 | 10512 | -11811 | 13258 | 4499 | -5055 | 0.195 | 681 | 2 | 0.003
3/30/2025 | 7 | 68096 | 9709 | -10908 | 12971 | 4156 | -4668 | 0.186 | 909 | 73 | 0.08
3/30/2025 | 8 | 70360 | 8527 | -10149 | 11933 | 3650 | -4344 | 0.164 | 749 | 142 | 0.19
3/30/2025 | 9 | 71827 | 7340 | -9477 | 9398 | 3141 | -4056 | 0.122 | 0 | 0 | 0
3/30/2025 | 10 | 70364 | 6932 | -9687 | 7860 | 2967 | -4146 | 0.099 | 0 | 0 | 0
3/30/2025 | 11 | 68765 | 7074 | -9912 | 7869 | 3028 | -4242 | 0.101 | 0 | 0 | 0
3/30/2025 | 12 | 67728 | 7168 | -10168 | 7756 | 3068 | -4352 | 0.1 | 0 | 0 | 0
3/30/2025 | 13 | 66449 | 7523 | -10277 | 8156 | 3220 | -4398 | 0.11 | 2 | 0 | 0
3/30/2025 | 14 | 65415 | 7661 | -10547 | 8156 | 3279 | -4514 | 0.111 | 0 | 0 | 0
3/30/2025 | 15 | 65474 | 7435 | -10353 | 8080 | 3182 | -4431 | 0.109 | 0 | 0 | 0
3/30/2025 | 16 | 66837 | 7496 | -10380 | 8090 | 3208 | -4442 | 0.107 | 0 | 0 | 0
3/30/2025 | 17 | 69848 | 7969 | -10398 | 8788 | 3411 | -4450 | 0.115 | 0 | 0 | 0
3/30/2025 | 18 | 73921 | 8824 | -10697 | 9649 | 3777 | -4578 | 0.123 | 0 | 0 | 0
3/30/2025 | 19 | 77230 | 11035 | -12580 | 11978 | 4723 | -5384 | 0.15 | 385 | 0 | 0
3/30/2025 | 20 | 79565 | 10797 | -12141 | 13324 | 4621 | -5196 | 0.163 | 928 | 2 | 0.002
3/30/2025 | 21 | 78504 | 11367 | -12504 | 13074 | 4865 | -5352 | 0.163 | 1035 | 54 | 0.052
3/30/2025 | 22 | 75916 | 11852 | -12774 | 13078 | 5073 | -5467 | 0.169 | 770 | 27 | 0.035
3/30/2025 | 23 | 71509 | 11666 | -12163 | 12886 | 4993 | -5206 | 0.178 | 980 | 29 | 0.03
3/30/2025 | 24 | 67634 | 12026 | -12363 | 12755 | 5147 | -5292 | 0.187 | 922 | 0 | 0
3/31/2025 | 1 | 64726 | 12533 | -12224 | 12768 | 5364 | -5232 | 0.198 | 932 | 0 | 0
3/31/2025 | 2 | 62962 | 12783 | -12341 | 12446 | 5471 | -5282 | 0.199 | 744 | 0 | 0
3/31/2025 | 3 | 62011 | 12539 | -12100 | 11802 | 5367 | -5179 | 0.192 | 275 | 0 | 0
3/31/2025 | 4 | 62592 | 12302 | -12250 | 11770 | 5265 | -5243 | 0.188 | 0 | 0 | 0
3/31/2025 | 5 | 64799 | 12226 | -12270 | 12244 | 5233 | -5251 | 0.189 | 43 | 0 | 0
3/31/2025 | 6 | 68991 | 12354 | -12187 | 12974 | 5288 | -5216 | 0.189 | 292 | 0 | 0
3/31/2025 | 7 | 74945 | 12912 | -12498 | 13802 | 5526 | -5349 | 0.185 | 638 | 2 | 0.003
3/31/2025 | 8 | 78682 | 12296 | -12161 | 13470 | 5263 | -5205 | 0.172 | 2080 | 538 | 0.259
3/31/2025 | 9 | 78842 | 10078 | -10433 | 11853 | 4313 | -4465 | 0.149 | 1242 | 194 | 0.156
3/31/2025 | 10 | 78454 | 9264 | -10444 | 10045 | 3965 | -4470 | 0.123 | 130 | 0 | 0
3/31/2025 | 11 | 77743 | 9287 | -10695 | 9227 | 3975 | -4577 | 0.113 | 0 | 0 | 0
3/31/2025 | 12 | 76626 | 9395 | -10662 | 8338 | 4021 | -4564 | 0.103 | 0 | 0 | 0
3/31/2025 | 13 | 74013 | 10309 | -11718 | 7678 | 4412 | -5015 | 0.097 | 0 | 0 | 0
3/31/2025 | 14 | 73043 | 10160 | -11653 | 7788 | 4348 | -4988 | 0.1 | 0 | 0 | 0
3/31/2025 | 15 | 73139 | 10368 | -11936 | 7922 | 4438 | -5108 | 0.101 | 0 | 0 | 0
3/31/2025 | 16 | 74457 | 10080 | -11644 | 8112 | 4314 | -4984 | 0.102 | 0 | 0 | 0
3/31/2025 | 17 | 77568 | 10741 | -11414 | 8817 | 4597 | -4885 | 0.111 | 65 | 0 | 0
3/31/2025 | 18 | 79797 | 12253 | -12116 | 10752 | 5244 | -5185 | 0.135 | 1 | 0 | 0
3/31/2025 | 19 | 81833 | 14306 | -14332 | 12209 | 6123 | -6134 | 0.149 | 550 | 0 | 0
3/31/2025 | 20 | 83029 | 14615 | -14439 | 12889 | 6255 | -6180 | 0.156 | 775 | 0 | 0
3/31/2025 | 21 | 82120 | 14877 | -14254 | 13924 | 6367 | -6101 | 0.171 | 828 | 2 | 0.002
3/31/2025 | 22 | 79238 | 14570 | -13908 | 14078 | 6236 | -5953 | 0.18 | 644 | 0 | 0
3/31/2025 | 23 | 74645 | 13907 | -13266 | 12859 | 5952 | -5678 | 0.174 | 541 | 12 | 0.022
3/31/2025 | 24 | 69916 | 13559 | -12822 | 12669 | 5803 | -5488 | 0.184 | 545 | 1 | 0.002