## KEY
Average Emissions Rate Calculation
Background:
The CAISO is publishing this metric of an average emissions rate (AER) based on the discussion in the GHG working groups. CAISO discussed the metric at the November 27, 2023 GHG Coordination Working Group. A brief explanation of the methodology is included below:
Methodology:
1) Which resources are reflected in this example AER metric (all schedules are from the 5-minute market)
- All supply resources are included
- All demand response resources are excluded
- All energy storage resources are included (emissions rate used is 0 MTCO2e/MWh)
- Resources that were attributed to serve California are included
2) The AER measures all schedules ie. The total dispatach of the resources and not relative to WEIM base schedule
3) Bilateral transactions are included (emissions rate used is 0.428 MTCO2e/MWh) unless they are resource specific.
4) CAISO filled in missing heat rate and emissions rate data by using wtd averages from existing data
Key
TRADE_DT | Trade date of the reported data in MM/DD/YYYY format
TRADE_HR | Trade hour of the reported data. Data is reported as the "hour-ending", e.g. TRADE_HR = 2 is for the hour-ending 1:59:59AM Pacific time
GEN_MWH | MWh of electricity generation in the WEIM area* (including CAISO)
IMP_MWH | MWh of electricity imports into the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
EXP_MWH | MWh of electricity exports from the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
GEN_GHG | Greenhouse gas emissions in MTCO2e of electricity generation in the WEIM area
IMP_GHG | Greenhouse gas emissions in MTCO2e of electricity imports into the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
EXP_GHG | Greenhouse gas emissions in MTCO2e of electricity exports from the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
AVG_EM_RATE | Average emissions rate calculated as columns G through I divided by columns C through E
ATTR_MWH | MWh of WEIM transfers into California which, by definition, is equal to the sum of the GHG attributions
ATTR_GHG | Greenhouse gas emissions in MTCO2e of WEIM transfers into California (resource-specific)
ATTR_AVG_EM_RATE | Average emissions rate of WEIM transfers into California
CAISO PUBLIC

## AER_SUMMARY
TRADE_DT | TRADE_HR | GEN_MWH | IMP_MWH | EXP_MWH | GEN_GHG | IMP_GHG | EXP_GHG | AVG_EM_RATE | ATTR_MWH | ATTR_GHG | ATTR_AVG_EM_RATE
3/1/2026 | 1 | 68297 | 12993 | -11702 | 15180 | 5561 | -5009 | 0.226 | 1084 | 26 | 0.024
3/1/2026 | 2 | 66654 | 13004 | -11789 | 14773 | 5566 | -5046 | 0.225 | 1004 | 6 | 0.006
3/1/2026 | 3 | 65311 | 12595 | -11324 | 13909 | 5391 | -4847 | 0.217 | 850 | 0 | 0
3/1/2026 | 4 | 64889 | 12266 | -11133 | 13730 | 5250 | -4765 | 0.215 | 744 | 0 | 0
3/1/2026 | 5 | 65406 | 12458 | -11249 | 13669 | 5332 | -4814 | 0.213 | 497 | 0 | 0
3/1/2026 | 6 | 67218 | 12324 | -11234 | 13787 | 5274 | -4808 | 0.209 | 555 | 0 | 0
3/1/2026 | 7 | 69201 | 11891 | -11127 | 12926 | 5089 | -4763 | 0.189 | 497 | 0 | 0
3/1/2026 | 8 | 69958 | 10817 | -10234 | 10198 | 4630 | -4380 | 0.148 | 0 | 0 | 0
3/1/2026 | 9 | 71069 | 9369 | -9184 | 8960 | 4010 | -3931 | 0.127 | 0 | 0 | 0
3/1/2026 | 10 | 69978 | 9712 | -9497 | 8501 | 4157 | -4065 | 0.122 | 0 | 0 | 0
3/1/2026 | 11 | 69280 | 9570 | -9516 | 8469 | 4096 | -4073 | 0.122 | 0 | 0 | 0
3/1/2026 | 12 | 68672 | 9216 | -9443 | 8370 | 3945 | -4042 | 0.121 | 0 | 0 | 0
3/1/2026 | 13 | 68069 | 9566 | -9621 | 8283 | 4094 | -4118 | 0.121 | 0 | 0 | 0
3/1/2026 | 14 | 69646 | 9675 | -9602 | 8374 | 4141 | -4110 | 0.121 | 0 | 0 | 0
3/1/2026 | 15 | 72317 | 9319 | -9513 | 8783 | 3988 | -4072 | 0.121 | 0 | 0 | 0
3/1/2026 | 16 | 75579 | 9989 | -10092 | 9638 | 4275 | -4319 | 0.127 | 0 | 0 | 0
3/1/2026 | 17 | 78898 | 12410 | -12089 | 11841 | 5312 | -5174 | 0.151 | 0 | 0 | 0
3/1/2026 | 18 | 83132 | 12749 | -12382 | 14799 | 5456 | -5299 | 0.179 | 760 | 0 | 0
3/1/2026 | 19 | 84550 | 12498 | -11666 | 14973 | 5349 | -4993 | 0.18 | 964 | 0 | 0
3/1/2026 | 20 | 82647 | 12749 | -11495 | 15298 | 5456 | -4920 | 0.189 | 743 | 0 | 0
3/1/2026 | 21 | 80028 | 12881 | -11455 | 15678 | 5513 | -4903 | 0.2 | 654 | 0 | 0
3/1/2026 | 22 | 76857 | 13252 | -11752 | 15716 | 5672 | -5030 | 0.209 | 1100 | 0 | 0
3/1/2026 | 23 | 72652 | 13710 | -12230 | 15423 | 5868 | -5235 | 0.217 | 1188 | 3 | 0.003
3/1/2026 | 24 | 68384 | 13868 | -12092 | 14889 | 5936 | -5175 | 0.223 | 481 | 0 | 0
3/2/2026 | 1 | 66528 | 12581 | -10998 | 14395 | 5385 | -4707 | 0.221 | 1070 | 0 | 0
3/2/2026 | 2 | 65000 | 12118 | -10499 | 14368 | 5186 | -4494 | 0.226 | 1060 | 0 | 0
3/2/2026 | 3 | 64361 | 11881 | -10408 | 14374 | 5085 | -4455 | 0.228 | 699 | 0 | 0
3/2/2026 | 4 | 65066 | 11169 | -9833 | 14790 | 4780 | -4209 | 0.231 | 119 | 0 | 0
3/2/2026 | 5 | 67677 | 11348 | -10022 | 15050 | 4857 | -4289 | 0.226 | 0 | 0 | 0
3/2/2026 | 6 | 72999 | 11713 | -10512 | 15322 | 5013 | -4499 | 0.213 | 358 | 0 | 0
3/2/2026 | 7 | 78592 | 10411 | -9453 | 15646 | 4456 | -4046 | 0.202 | 707 | 32 | 0.045
3/2/2026 | 8 | 80920 | 9982 | -9248 | 12966 | 4272 | -3958 | 0.163 | 39 | 0 | 0
3/2/2026 | 9 | 79777 | 8145 | -8033 | 10980 | 3486 | -3438 | 0.138 | 0 | 0 | 0
3/2/2026 | 10 | 77204 | 8102 | -8151 | 11086 | 3468 | -3488 | 0.143 | 0 | 0 | 0
3/2/2026 | 11 | 74563 | 8298 | -8563 | 12374 | 3552 | -3665 | 0.165 | 0 | 0 | 0
3/2/2026 | 12 | 72994 | 8619 | -8896 | 11254 | 3689 | -3807 | 0.153 | 0 | 0 | 0
3/2/2026 | 13 | 73654 | 8660 | -9213 | 9122 | 3707 | -3943 | 0.122 | 0 | 0 | 0
3/2/2026 | 14 | 74588 | 8581 | -9270 | 9133 | 3673 | -3967 | 0.12 | 0 | 0 | 0
3/2/2026 | 15 | 75653 | 8638 | -9321 | 9543 | 3697 | -3989 | 0.123 | 0 | 0 | 0
3/2/2026 | 16 | 77942 | 9196 | -9518 | 10412 | 3936 | -4074 | 0.132 | 0 | 0 | 0
3/2/2026 | 17 | 80773 | 10804 | -10833 | 12558 | 4624 | -4637 | 0.155 | 0 | 0 | 0
3/2/2026 | 18 | 84524 | 11935 | -11607 | 14712 | 5108 | -4968 | 0.175 | 981 | 0 | 0
3/2/2026 | 19 | 86542 | 12352 | -12031 | 15161 | 5287 | -5149 | 0.176 | 920 | 0 | 0
3/2/2026 | 20 | 85160 | 12668 | -12199 | 15027 | 5422 | -5221 | 0.178 | 1154 | 0 | 0
3/2/2026 | 21 | 82570 | 12369 | -11911 | 14977 | 5294 | -5098 | 0.183 | 1247 | 0 | 0
3/2/2026 | 22 | 78969 | 12158 | -11721 | 14887 | 5204 | -5016 | 0.19 | 1148 | 1 | 0.001
3/2/2026 | 23 | 74783 | 12254 | -11862 | 14763 | 5245 | -5077 | 0.199 | 933 | 0 | 0
3/2/2026 | 24 | 71059 | 12416 | -12018 | 14674 | 5314 | -5144 | 0.208 | 1490 | 1 | 0.001
3/3/2026 | 1 | 69040 | 13660 | -13432 | 14623 | 5846 | -5749 | 0.213 | 1087 | 38 | 0.035
3/3/2026 | 2 | 67261 | 13732 | -13371 | 14348 | 5878 | -5723 | 0.214 | 872 | 36 | 0.041
3/3/2026 | 3 | 66214 | 13670 | -13160 | 14462 | 5850 | -5633 | 0.22 | 1008 | 36 | 0.036
3/3/2026 | 4 | 66064 | 13525 | -12869 | 14520 | 5789 | -5508 | 0.222 | 1068 | 39 | 0.037
3/3/2026 | 5 | 68170 | 13269 | -12587 | 14810 | 5679 | -5387 | 0.219 | 880 | 36 | 0.041
3/3/2026 | 6 | 72906 | 14157 | -13309 | 14985 | 6059 | -5696 | 0.208 | 724 | 0 | 0
3/3/2026 | 7 | 78134 | 11879 | -11368 | 14939 | 5084 | -4866 | 0.193 | 897 | 14 | 0.016
3/3/2026 | 8 | 79303 | 9953 | -9780 | 12031 | 4260 | -4186 | 0.152 | 48 | 2 | 0.042
3/3/2026 | 9 | 76887 | 9286 | -9393 | 9635 | 3974 | -4020 | 0.125 | 0 | 0 | 0
3/3/2026 | 10 | 73754 | 8948 | -9090 | 9014 | 3829 | -3890 | 0.122 | 0 | 0 | 0
3/3/2026 | 11 | 71379 | 9060 | -9350 | 8840 | 3878 | -4002 | 0.123 | 0 | 0 | 0
3/3/2026 | 12 | 69587 | 9145 | -9383 | 8719 | 3914 | -4016 | 0.124 | 0 | 0 | 0
3/3/2026 | 13 | 69599 | 8883 | -9272 | 8526 | 3802 | -3968 | 0.121 | 0 | 0 | 0
3/3/2026 | 14 | 70334 | 9076 | -9298 | 8453 | 3884 | -3980 | 0.119 | 0 | 0 | 0
3/3/2026 | 15 | 71985 | 9449 | -9611 | 8734 | 4044 | -4114 | 0.121 | 0 | 0 | 0
3/3/2026 | 16 | 75846 | 9648 | -9593 | 9592 | 4130 | -4106 | 0.127 | 0 | 0 | 0
3/3/2026 | 17 | 79838 | 11431 | -10653 | 12284 | 4892 | -4560 | 0.156 | 0 | 0 | 0
3/3/2026 | 18 | 84726 | 13074 | -12306 | 15207 | 5596 | -5267 | 0.182 | 606 | 16 | 0.026
3/3/2026 | 19 | 86699 | 13270 | -12653 | 15750 | 5680 | -5415 | 0.183 | 699 | 0 | 0
3/3/2026 | 20 | 84724 | 13116 | -12518 | 15836 | 5614 | -5358 | 0.189 | 1000 | 78 | 0.078
3/3/2026 | 21 | 81779 | 13082 | -12312 | 15623 | 5599 | -5269 | 0.193 | 1146 | 18 | 0.016
3/3/2026 | 22 | 78000 | 12501 | -11492 | 15546 | 5350 | -4919 | 0.202 | 1019 | 18 | 0.018
3/3/2026 | 23 | 73315 | 13832 | -12743 | 15205 | 5920 | -5454 | 0.211 | 1069 | 41 | 0.038
3/3/2026 | 24 | 69339 | 14020 | -12913 | 14987 | 6001 | -5527 | 0.219 | 932 | 24 | 0.026
3/4/2026 | 1 | 67387 | 14152 | -13316 | 14247 | 6057 | -5700 | 0.214 | 1105 | 119 | 0.108
3/4/2026 | 2 | 65378 | 14056 | -13078 | 13403 | 6016 | -5597 | 0.208 | 774 | 18 | 0.023
3/4/2026 | 3 | 64274 | 13544 | -12543 | 13060 | 5797 | -5368 | 0.207 | 1059 | 80 | 0.076
3/4/2026 | 4 | 64496 | 13457 | -12486 | 13151 | 5760 | -5344 | 0.207 | 1051 | 63 | 0.06
3/4/2026 | 5 | 66926 | 13574 | -12864 | 13575 | 5809 | -5506 | 0.205 | 795 | 38 | 0.048
3/4/2026 | 6 | 71916 | 13923 | -13633 | 14617 | 5959 | -5835 | 0.204 | 620 | 18 | 0.029
3/4/2026 | 7 | 76286 | 11702 | -11022 | 14364 | 5009 | -4717 | 0.19 | 596 | 60 | 0.101
3/4/2026 | 8 | 77721 | 11020 | -10578 | 11042 | 4717 | -4527 | 0.144 | 522 | 19 | 0.036
3/4/2026 | 9 | 76965 | 9301 | -9523 | 9596 | 3981 | -4076 | 0.124 | 13 | 0 | 0
3/4/2026 | 10 | 75240 | 9045 | -9579 | 9299 | 3871 | -4100 | 0.121 | 0 | 0 | 0
3/4/2026 | 11 | 72809 | 9268 | -10039 | 8832 | 3967 | -4296 | 0.118 | 0 | 0 | 0
3/4/2026 | 12 | 70544 | 9085 | -9972 | 8438 | 3889 | -4268 | 0.116 | 0 | 0 | 0
3/4/2026 | 13 | 69903 | 8898 | -9736 | 8262 | 3808 | -4167 | 0.114 | 0 | 0 | 0
3/4/2026 | 14 | 70389 | 8838 | -9669 | 8351 | 3783 | -4138 | 0.115 | 0 | 0 | 0
3/4/2026 | 15 | 72503 | 8890 | -9793 | 8690 | 3805 | -4192 | 0.116 | 0 | 0 | 0
3/4/2026 | 16 | 76396 | 9368 | -10302 | 9153 | 4010 | -4410 | 0.116 | 0 | 0 | 0
3/4/2026 | 17 | 80068 | 11053 | -11266 | 10601 | 4730 | -4822 | 0.132 | 0 | 0 | 0
3/4/2026 | 18 | 85183 | 13834 | -13938 | 12523 | 5921 | -5966 | 0.147 | 718 | 7 | 0.01
3/4/2026 | 19 | 87565 | 14462 | -14386 | 12974 | 6190 | -6157 | 0.148 | 1101 | 10 | 0.009
3/4/2026 | 20 | 86635 | 14507 | -14359 | 13338 | 6209 | -6146 | 0.154 | 1102 | 10 | 0.009
3/4/2026 | 21 | 83463 | 14224 | -13945 | 12921 | 6088 | -5969 | 0.156 | 1184 | 10 | 0.008
3/4/2026 | 22 | 80216 | 14117 | -13938 | 12253 | 6042 | -5966 | 0.153 | 1246 | 10 | 0.008
3/4/2026 | 23 | 75953 | 15208 | -15019 | 11905 | 6509 | -6428 | 0.157 | 923 | 10 | 0.011
3/4/2026 | 24 | 71939 | 15930 | -15682 | 11598 | 6818 | -6712 | 0.162 | 186 | 3 | 0.016
3/5/2026 | 1 | 69621 | 14723 | -14711 | 11131 | 6301 | -6296 | 0.16 | 802 | 11 | 0.014
3/5/2026 | 2 | 68053 | 14155 | -14202 | 10991 | 6058 | -6078 | 0.161 | 992 | 11 | 0.011
3/5/2026 | 3 | 67073 | 14449 | -14368 | 11079 | 6184 | -6150 | 0.165 | 701 | 10 | 0.014
3/5/2026 | 4 | 67267 | 14441 | -14335 | 11213 | 6181 | -6136 | 0.167 | 834 | 11 | 0.013
3/5/2026 | 5 | 69751 | 14461 | -14543 | 11633 | 6190 | -6224 | 0.166 | 1076 | 10 | 0.009
3/5/2026 | 6 | 74952 | 14132 | -14490 | 12075 | 6048 | -6202 | 0.16 | 1092 | 10 | 0.009
3/5/2026 | 7 | 80665 | 12074 | -12909 | 12758 | 5168 | -5525 | 0.155 | 1144 | 10 | 0.009
3/5/2026 | 8 | 81952 | 9818 | -10750 | 10122 | 4202 | -4601 | 0.12 | 199 | 2 | 0.01
3/5/2026 | 9 | 79942 | 8471 | -9954 | 9087 | 3625 | -4260 | 0.108 | 0 | 0 | 0
3/5/2026 | 10 | 75782 | 8099 | -9770 | 8811 | 3466 | -4182 | 0.109 | 0 | 0 | 0
3/5/2026 | 11 | 72735 | 8452 | -10354 | 8445 | 3618 | -4432 | 0.108 | 0 | 0 | 0
3/5/2026 | 12 | 70329 | 8392 | -10127 | 8245 | 3591 | -4334 | 0.109 | 0 | 0 | 0
3/5/2026 | 13 | 69919 | 8543 | -10335 | 8164 | 3656 | -4423 | 0.109 | 8 | 2 | 0.25
3/5/2026 | 14 | 70459 | 8797 | -10909 | 8262 | 3765 | -4669 | 0.108 | 0 | 0 | 0
3/5/2026 | 15 | 71822 | 9062 | -11107 | 8579 | 3878 | -4754 | 0.11 | 0 | 0 | 0
3/5/2026 | 16 | 75568 | 8950 | -10900 | 9223 | 3831 | -4665 | 0.114 | 0 | 0 | 0
3/5/2026 | 17 | 79426 | 10334 | -11604 | 9975 | 4423 | -4967 | 0.121 | 22 | 3 | 0.136
3/5/2026 | 18 | 84376 | 13375 | -13919 | 12000 | 5725 | -5958 | 0.14 | 380 | 0 | 0
3/5/2026 | 19 | 87297 | 13315 | -13860 | 12660 | 5699 | -5932 | 0.143 | 977 | 0 | 0
3/5/2026 | 20 | 86031 | 13644 | -13995 | 12724 | 5840 | -5990 | 0.147 | 914 | 0 | 0
3/5/2026 | 21 | 83888 | 13380 | -13573 | 12828 | 5727 | -5809 | 0.152 | 1120 | 0 | 0
3/5/2026 | 22 | 80837 | 13574 | -13653 | 12208 | 5810 | -5844 | 0.151 | 822 | 0 | 0
3/5/2026 | 23 | 76346 | 15608 | -15415 | 11636 | 6680 | -6598 | 0.153 | 800 | 0 | 0
3/5/2026 | 24 | 72488 | 15422 | -15041 | 11656 | 6600 | -6438 | 0.162 | 1320 | 0 | 0
3/6/2026 | 1 | 70249 | 14741 | -14470 | 11535 | 6309 | -6193 | 0.165 | 1330 | 11 | 0.008
3/6/2026 | 2 | 68606 | 15049 | -14651 | 11291 | 6441 | -6270 | 0.166 | 956 | 0 | 0
3/6/2026 | 3 | 67670 | 15315 | -14878 | 10996 | 6555 | -6368 | 0.164 | 863 | 0 | 0
3/6/2026 | 4 | 67973 | 15030 | -14646 | 11074 | 6433 | -6268 | 0.164 | 1012 | 0 | 0
3/6/2026 | 5 | 69880 | 15278 | -14641 | 11400 | 6539 | -6266 | 0.166 | 1249 | 0 | 0
3/6/2026 | 6 | 74651 | 15362 | -14918 | 11738 | 6575 | -6385 | 0.159 | 956 | 0 | 0
3/6/2026 | 7 | 80136 | 12689 | -12926 | 11967 | 5431 | -5533 | 0.148 | 972 | 16 | 0.016
3/6/2026 | 8 | 81113 | 9931 | -10426 | 9640 | 4251 | -4462 | 0.117 | 332 | 4 | 0.012
3/6/2026 | 9 | 78432 | 8669 | -9766 | 8149 | 3711 | -4180 | 0.099 | 0 | 0 | 0
3/6/2026 | 10 | 75088 | 8255 | -9344 | 7586 | 3533 | -3999 | 0.096 | 0 | 0 | 0
3/6/2026 | 11 | 72237 | 8327 | -9505 | 7396 | 3564 | -4068 | 0.097 | 0 | 0 | 0
3/6/2026 | 12 | 70384 | 8298 | -9602 | 7460 | 3552 | -4110 | 0.1 | 0 | 0 | 0
3/6/2026 | 13 | 69931 | 8303 | -10081 | 7282 | 3554 | -4315 | 0.096 | 0 | 0 | 0
3/6/2026 | 14 | 70124 | 8816 | -10450 | 7417 | 3773 | -4473 | 0.098 | 0 | 0 | 0
3/6/2026 | 15 | 71355 | 9085 | -10495 | 7841 | 3888 | -4492 | 0.103 | 0 | 0 | 0
3/6/2026 | 16 | 74482 | 9152 | -10234 | 8238 | 3917 | -4380 | 0.106 | 0 | 0 | 0
3/6/2026 | 17 | 78935 | 9679 | -10354 | 9633 | 4143 | -4431 | 0.119 | 12 | 0 | 0
3/6/2026 | 18 | 83327 | 13094 | -13004 | 12184 | 5604 | -5566 | 0.147 | 756 | 0 | 0
3/6/2026 | 19 | 83990 | 13411 | -13017 | 12528 | 5740 | -5571 | 0.15 | 618 | 0 | 0
3/6/2026 | 20 | 82366 | 13250 | -12749 | 12720 | 5671 | -5457 | 0.156 | 700 | 0 | 0
3/6/2026 | 21 | 80213 | 13166 | -12503 | 12838 | 5635 | -5351 | 0.162 | 681 | 0 | 0
3/6/2026 | 22 | 77763 | 13311 | -12533 | 12770 | 5697 | -5364 | 0.167 | 667 | 0 | 0
3/6/2026 | 23 | 73630 | 15692 | -14399 | 12715 | 6716 | -6163 | 0.177 | 901 | 4 | 0.004
3/6/2026 | 24 | 70529 | 16155 | -14659 | 12065 | 6914 | -6274 | 0.176 | 992 | 19 | 0.019
3/7/2026 | 1 | 68318 | 16306 | -14640 | 11532 | 6979 | -6266 | 0.175 | 759 | 0 | 0
3/7/2026 | 2 | 65974 | 16506 | -14578 | 10868 | 7065 | -6239 | 0.172 | 569 | 6 | 0.011
3/7/2026 | 3 | 64651 | 16563 | -14519 | 10437 | 7089 | -6214 | 0.17 | 515 | 5 | 0.01
3/7/2026 | 4 | 64303 | 16634 | -14629 | 10213 | 7119 | -6261 | 0.167 | 102 | 0 | 0
3/7/2026 | 5 | 65171 | 16266 | -14300 | 10187 | 6962 | -6120 | 0.164 | 593 | 5 | 0.008
3/7/2026 | 6 | 67292 | 16248 | -14224 | 9781 | 6954 | -6088 | 0.154 | 532 | 0 | 0
3/7/2026 | 7 | 69775 | 14245 | -12957 | 9215 | 6097 | -5546 | 0.137 | 56 | 6 | 0.107
3/7/2026 | 8 | 69882 | 11470 | -10828 | 7874 | 4909 | -4635 | 0.116 | 0 | 0 | 0
3/7/2026 | 9 | 69405 | 9875 | -9862 | 7575 | 4227 | -4221 | 0.109 | 0 | 0 | 0
3/7/2026 | 10 | 67025 | 9332 | -9461 | 7193 | 3994 | -4049 | 0.107 | 0 | 0 | 0
3/7/2026 | 11 | 64847 | 9276 | -9481 | 7178 | 3970 | -4058 | 0.11 | 0 | 0 | 0
3/7/2026 | 12 | 62560 | 9203 | -9342 | 7231 | 3939 | -3998 | 0.115 | 0 | 0 | 0
3/7/2026 | 13 | 61943 | 8851 | -9163 | 7195 | 3788 | -3922 | 0.115 | 79 | 28 | 0.354
3/7/2026 | 14 | 62554 | 8802 | -8829 | 7266 | 3767 | -3779 | 0.116 | 112 | 28 | 0.25
3/7/2026 | 15 | 65010 | 9316 | -9609 | 7610 | 3987 | -4113 | 0.116 | 330 | 80 | 0.242
3/7/2026 | 16 | 68786 | 9160 | -9553 | 7803 | 3921 | -4089 | 0.112 | 886 | 291 | 0.328
3/7/2026 | 17 | 72808 | 10165 | -10109 | 8499 | 4351 | -4327 | 0.117 | 861 | 155 | 0.18
3/7/2026 | 18 | 77907 | 13516 | -13136 | 9611 | 5785 | -5622 | 0.125 | 1366 | 142 | 0.104
3/7/2026 | 19 | 79493 | 13948 | -13408 | 10218 | 5970 | -5739 | 0.131 | 1537 | 158 | 0.103
3/7/2026 | 20 | 77762 | 14432 | -13272 | 10116 | 6177 | -5680 | 0.134 | 1570 | 166 | 0.106
3/7/2026 | 21 | 75975 | 13926 | -12904 | 10179 | 5960 | -5523 | 0.138 | 1459 | 139 | 0.095
3/7/2026 | 22 | 73497 | 13911 | -12758 | 10032 | 5954 | -5460 | 0.141 | 1371 | 189 | 0.138
3/7/2026 | 23 | 70770 | 15596 | -14481 | 10052 | 6675 | -6198 | 0.146 | 1148 | 149 | 0.13
3/7/2026 | 24 | 67724 | 15855 | -14527 | 10252 | 6786 | -6217 | 0.157 | 1247 | 132 | 0.106
3/8/2026 | 1 | 65321 | 14364 | -13070 | 10318 | 6148 | -5594 | 0.163 | 1655 | 238 | 0.144
3/8/2026 | 2 | 63063 | 14428 | -13050 | 9999 | 6175 | -5586 | 0.164 | 1428 | 235 | 0.165
3/8/2026 | 4 | 62008 | 14432 | -12974 | 9799 | 6177 | -5553 | 0.164 | 961 | 134 | 0.139
3/8/2026 | 5 | 62835 | 14050 | -12986 | 9790 | 6013 | -5558 | 0.16 | 764 | 128 | 0.168
3/8/2026 | 6 | 63872 | 14395 | -13307 | 9808 | 6161 | -5695 | 0.158 | 706 | 117 | 0.166
3/8/2026 | 7 | 66321 | 13582 | -13165 | 9845 | 5813 | -5635 | 0.15 | 867 | 109 | 0.126
3/8/2026 | 8 | 68037 | 12366 | -12412 | 9440 | 5293 | -5312 | 0.139 | 305 | 53 | 0.174
3/8/2026 | 9 | 68100 | 8556 | -9170 | 7538 | 3662 | -3925 | 0.108 | 119 | 32 | 0.269
3/8/2026 | 10 | 67151 | 8353 | -9385 | 7147 | 3575 | -4017 | 0.101 | 0 | 0 | 0
3/8/2026 | 11 | 65597 | 8180 | -9261 | 7143 | 3501 | -3964 | 0.104 | 0 | 0 | 0
3/8/2026 | 12 | 63902 | 8324 | -9365 | 7143 | 3563 | -4008 | 0.107 | 0 | 0 | 0
3/8/2026 | 13 | 62904 | 8531 | -9661 | 7165 | 3651 | -4135 | 0.108 | 0 | 0 | 0
3/8/2026 | 14 | 63204 | 8500 | -9747 | 7137 | 3638 | -4172 | 0.107 | 0 | 0 | 0
3/8/2026 | 15 | 64769 | 8490 | -9901 | 7286 | 3634 | -4238 | 0.105 | 0 | 0 | 0
3/8/2026 | 16 | 68103 | 8369 | -9835 | 7455 | 3582 | -4209 | 0.102 | 0 | 0 | 0
3/8/2026 | 17 | 72109 | 9171 | -10179 | 7766 | 3925 | -4357 | 0.103 | 0 | 0 | 0
3/8/2026 | 18 | 78022 | 10723 | -11323 | 9050 | 4589 | -4846 | 0.114 | 44 | 6 | 0.136
3/8/2026 | 19 | 81582 | 13675 | -13909 | 10723 | 5853 | -5953 | 0.131 | 1207 | 124 | 0.103
3/8/2026 | 20 | 83614 | 13820 | -13949 | 11268 | 5915 | -5970 | 0.134 | 1522 | 120 | 0.079
3/8/2026 | 21 | 82519 | 13798 | -13847 | 11283 | 5905 | -5926 | 0.137 | 1597 | 111 | 0.07
3/8/2026 | 22 | 79775 | 13469 | -13512 | 11164 | 5765 | -5783 | 0.14 | 1654 | 113 | 0.068
3/8/2026 | 23 | 75223 | 14154 | -13778 | 11090 | 6058 | -5897 | 0.149 | 1347 | 111 | 0.082
3/8/2026 | 24 | 71082 | 14044 | -13841 | 10774 | 6011 | -5924 | 0.152 | 1165 | 10 | 0.009
3/9/2026 | 1 | 68429 | 13347 | -13337 | 10944 | 5712 | -5708 | 0.16 | 1258 | 65 | 0.052
3/9/2026 | 2 | 66469 | 13367 | -13252 | 10901 | 5721 | -5672 | 0.164 | 1207 | 79 | 0.065
3/9/2026 | 3 | 65612 | 13436 | -13294 | 11179 | 5751 | -5690 | 0.171 | 1136 | 22 | 0.019
3/9/2026 | 4 | 66016 | 13203 | -13120 | 11606 | 5651 | -5616 | 0.176 | 862 | 44 | 0.051
3/9/2026 | 5 | 67998 | 13003 | -13137 | 12075 | 5565 | -5622 | 0.177 | 966 | 10 | 0.01
3/9/2026 | 6 | 73191 | 12266 | -12859 | 12709 | 5250 | -5504 | 0.172 | 846 | 0 | 0
3/9/2026 | 7 | 79584 | 11637 | -12171 | 13938 | 4981 | -5209 | 0.173 | 756 | 1 | 0.001
3/9/2026 | 8 | 83784 | 10258 | -11126 | 14313 | 4390 | -4762 | 0.168 | 1219 | 348 | 0.285
3/9/2026 | 9 | 83214 | 8268 | -9400 | 10514 | 3539 | -4023 | 0.122 | 928 | 159 | 0.171
3/9/2026 | 10 | 80754 | 7651 | -8851 | 8260 | 3274 | -3788 | 0.097 | 82 | 13 | 0.159
3/9/2026 | 11 | 77295 | 7686 | -8883 | 7682 | 3289 | -3802 | 0.094 | 48 | 10 | 0.208
3/9/2026 | 12 | 74518 | 7972 | -9224 | 7644 | 3412 | -3948 | 0.097 | 0 | 0 | 0
3/9/2026 | 13 | 73372 | 7565 | -9049 | 7577 | 3238 | -3873 | 0.097 | 13 | 4 | 0.308
3/9/2026 | 14 | 72326 | 7690 | -9146 | 7593 | 3291 | -3915 | 0.098 | 19 | 6 | 0.316
3/9/2026 | 15 | 72514 | 7882 | -9146 | 7618 | 3373 | -3914 | 0.099 | 0 | 0 | 0
3/9/2026 | 16 | 74382 | 8208 | -9474 | 8081 | 3513 | -4055 | 0.103 | 322 | 74 | 0.23
3/9/2026 | 17 | 77386 | 9171 | -10062 | 8816 | 3925 | -4306 | 0.11 | 98 | 34 | 0.347
3/9/2026 | 18 | 82449 | 10662 | -11505 | 10046 | 4564 | -4924 | 0.119 | 269 | 26 | 0.097
3/9/2026 | 19 | 85948 | 11493 | -11820 | 12422 | 4919 | -5059 | 0.143 | 1184 | 20 | 0.017
3/9/2026 | 20 | 87400 | 11696 | -11794 | 13172 | 5006 | -5048 | 0.15 | 887 | 0 | 0
3/9/2026 | 21 | 86108 | 11262 | -11160 | 13404 | 4820 | -4776 | 0.156 | 1043 | 1 | 0.001
3/9/2026 | 22 | 83469 | 11385 | -11414 | 13163 | 4873 | -4885 | 0.158 | 1442 | 41 | 0.028
3/9/2026 | 23 | 78792 | 11907 | -12098 | 13276 | 5096 | -5178 | 0.168 | 1223 | 85 | 0.07
3/9/2026 | 24 | 74238 | 12585 | -12460 | 12838 | 5386 | -5333 | 0.173 | 1175 | 94 | 0.08
3/10/2026 | 1 | 71558 | 13308 | -13006 | 12375 | 5696 | -5567 | 0.174 | 1010 | 3 | 0.003
3/10/2026 | 2 | 69100 | 13436 | -12795 | 12298 | 5751 | -5476 | 0.18 | 1185 | 16 | 0.014
3/10/2026 | 3 | 67973 | 13395 | -12778 | 12054 | 5733 | -5469 | 0.18 | 1033 | 33 | 0.032
3/10/2026 | 4 | 67745 | 13082 | -12507 | 11714 | 5599 | -5353 | 0.175 | 985 | 26 | 0.026
3/10/2026 | 5 | 69884 | 13060 | -12711 | 11954 | 5589 | -5440 | 0.172 | 989 | 13 | 0.013
3/10/2026 | 6 | 74373 | 12617 | -12027 | 12531 | 5400 | -5148 | 0.171 | 639 | 9 | 0.014
3/10/2026 | 7 | 80873 | 10993 | -10651 | 13133 | 4705 | -4559 | 0.164 | 455 | 10 | 0.022
3/10/2026 | 8 | 85393 | 10506 | -10212 | 13521 | 4497 | -4371 | 0.159 | 232 | 6 | 0.026
3/10/2026 | 9 | 84545 | 9430 | -9250 | 10980 | 4036 | -3959 | 0.131 | 62 | 7 | 0.113
3/10/2026 | 10 | 82701 | 8526 | -8576 | 8957 | 3649 | -3671 | 0.108 | 0 | 0 | 0
3/10/2026 | 11 | 78742 | 8280 | -8132 | 8353 | 3544 | -3480 | 0.107 | 0 | 0 | 0
3/10/2026 | 12 | 75198 | 8221 | -8085 | 7955 | 3518 | -3461 | 0.106 | 0 | 0 | 0
3/10/2026 | 13 | 72956 | 8184 | -8022 | 7810 | 3503 | -3433 | 0.108 | 0 | 0 | 0
3/10/2026 | 14 | 72177 | 9129 | -9149 | 8031 | 3907 | -3916 | 0.111 | 0 | 0 | 0
3/10/2026 | 15 | 72588 | 8948 | -9437 | 8120 | 3830 | -4039 | 0.11 | 0 | 0 | 0
3/10/2026 | 16 | 74400 | 8750 | -9326 | 8378 | 3745 | -3992 | 0.11 | 0 | 0 | 0
3/10/2026 | 17 | 77204 | 9535 | -9602 | 9134 | 4081 | -4109 | 0.118 | 0 | 0 | 0
3/10/2026 | 18 | 82536 | 9904 | -9925 | 10577 | 4239 | -4248 | 0.128 | 174 | 15 | 0.086
3/10/2026 | 19 | 86142 | 11393 | -11178 | 12256 | 4876 | -4784 | 0.143 | 1307 | 177 | 0.135
3/10/2026 | 20 | 88044 | 11533 | -11370 | 12406 | 4936 | -4866 | 0.141 | 1048 | 114 | 0.109
3/10/2026 | 21 | 86683 | 11181 | -10932 | 11816 | 4786 | -4679 | 0.137 | 625 | 17 | 0.027
3/10/2026 | 22 | 83379 | 10850 | -10583 | 11479 | 4644 | -4529 | 0.139 | 679 | 10 | 0.015
3/10/2026 | 23 | 78683 | 13125 | -12547 | 11264 | 5618 | -5370 | 0.145 | 671 | 10 | 0.015
3/10/2026 | 24 | 74163 | 13819 | -13095 | 11305 | 5914 | -5605 | 0.155 | 412 | 8 | 0.019
3/11/2026 | 1 | 71484 | 14301 | -13422 | 12235 | 6121 | -5745 | 0.174 | 641 | 0 | 0
3/11/2026 | 2 | 69387 | 14014 | -13002 | 12116 | 5998 | -5565 | 0.178 | 728 | 0 | 0
3/11/2026 | 3 | 67680 | 13838 | -12561 | 11829 | 5923 | -5376 | 0.179 | 1137 | 2 | 0.002
3/11/2026 | 4 | 67904 | 13775 | -12384 | 11826 | 5896 | -5300 | 0.179 | 931 | 13 | 0.014
3/11/2026 | 5 | 69840 | 13619 | -12192 | 12472 | 5829 | -5218 | 0.184 | 230 | 0 | 0
3/11/2026 | 6 | 74456 | 13439 | -12089 | 13135 | 5752 | -5174 | 0.181 | 282 | 0 | 0
3/11/2026 | 7 | 80723 | 12130 | -10947 | 13713 | 5192 | -4686 | 0.174 | 70 | 0 | 0
3/11/2026 | 8 | 84067 | 11859 | -10688 | 13756 | 5076 | -4575 | 0.167 | 555 | 156 | 0.281
3/11/2026 | 9 | 81984 | 10487 | -9331 | 10802 | 4488 | -3994 | 0.136 | 179 | 42 | 0.235
3/11/2026 | 10 | 78925 | 9293 | -8510 | 8213 | 3977 | -3642 | 0.107 | 0 | 0 | 0
3/11/2026 | 11 | 75505 | 9179 | -8220 | 7699 | 3928 | -3518 | 0.106 | 0 | 0 | 0
3/11/2026 | 12 | 72131 | 9189 | -8001 | 7644 | 3933 | -3424 | 0.111 | 605 | 95 | 0.157
3/11/2026 | 13 | 70598 | 9784 | -8585 | 7516 | 4188 | -3674 | 0.112 | 22 | 5 | 0.227
3/11/2026 | 14 | 70686 | 9931 | -9069 | 7493 | 4251 | -3881 | 0.11 | 282 | 65 | 0.23
3/11/2026 | 15 | 71725 | 9200 | -8787 | 7378 | 3937 | -3761 | 0.105 | 268 | 73 | 0.272
3/11/2026 | 16 | 74825 | 8657 | -9021 | 7687 | 3705 | -3861 | 0.101 | 0 | 0 | 0
3/11/2026 | 17 | 78785 | 9065 | -9552 | 8652 | 3880 | -4088 | 0.108 | 146 | 22 | 0.151
3/11/2026 | 18 | 83738 | 10808 | -10876 | 10033 | 4626 | -4655 | 0.12 | 291 | 31 | 0.107
3/11/2026 | 19 | 87982 | 12980 | -13074 | 12453 | 5556 | -5595 | 0.141 | 1007 | 118 | 0.117
3/11/2026 | 20 | 89932 | 13600 | -13851 | 13170 | 5821 | -5928 | 0.146 | 1448 | 232 | 0.16
3/11/2026 | 21 | 87217 | 13298 | -13250 | 12647 | 5692 | -5671 | 0.145 | 1974 | 513 | 0.26
3/11/2026 | 22 | 82851 | 13086 | -12355 | 12148 | 5601 | -5288 | 0.149 | 1918 | 425 | 0.222
3/11/2026 | 23 | 77826 | 14895 | -13743 | 12327 | 6375 | -5882 | 0.162 | 2172 | 343 | 0.158
3/11/2026 | 24 | 72660 | 15063 | -13527 | 12154 | 6447 | -5790 | 0.173 | 2058 | 362 | 0.176
3/12/2026 | 1 | 69014 | 15098 | -13079 | 11861 | 6462 | -5598 | 0.179 | 1707 | 246 | 0.144
3/12/2026 | 2 | 66767 | 15037 | -12955 | 11654 | 6436 | -5545 | 0.182 | 2010 | 427 | 0.212
3/12/2026 | 3 | 65483 | 14891 | -12981 | 11388 | 6373 | -5556 | 0.181 | 2115 | 476 | 0.225
3/12/2026 | 4 | 64830 | 15162 | -13089 | 11296 | 6489 | -5602 | 0.182 | 1875 | 409 | 0.218
3/12/2026 | 5 | 66296 | 15199 | -12959 | 11405 | 6505 | -5547 | 0.18 | 1820 | 404 | 0.222
3/12/2026 | 6 | 70732 | 15167 | -13190 | 11832 | 6491 | -5645 | 0.174 | 1019 | 32 | 0.031
3/12/2026 | 7 | 77904 | 14425 | -13259 | 13097 | 6174 | -5675 | 0.172 | 1044 | 58 | 0.056
3/12/2026 | 8 | 81671 | 13767 | -13002 | 12412 | 5892 | -5565 | 0.155 | 967 | 107 | 0.111
3/12/2026 | 9 | 81031 | 10545 | -10584 | 9068 | 4514 | -4530 | 0.112 | 115 | 16 | 0.139
3/12/2026 | 10 | 79106 | 9375 | -9968 | 7795 | 4012 | -4266 | 0.096 | 0 | 0 | 0
3/12/2026 | 11 | 76582 | 9511 | -10069 | 7573 | 4071 | -4309 | 0.096 | 0 | 0 | 0
3/12/2026 | 12 | 74492 | 9725 | -10097 | 7403 | 4163 | -4321 | 0.098 | 0 | 0 | 0
3/12/2026 | 13 | 74571 | 9544 | -9963 | 7299 | 4085 | -4264 | 0.096 | 0 | 0 | 0
3/12/2026 | 14 | 75391 | 9790 | -10193 | 7333 | 4190 | -4363 | 0.095 | 0 | 0 | 0
3/12/2026 | 15 | 77019 | 9780 | -10224 | 7509 | 4186 | -4376 | 0.096 | 0 | 0 | 0
3/12/2026 | 16 | 80179 | 9845 | -10332 | 8017 | 4214 | -4422 | 0.098 | 0 | 0 | 0
3/12/2026 | 17 | 84696 | 9484 | -10459 | 8469 | 4059 | -4476 | 0.096 | 0 | 0 | 0
3/12/2026 | 18 | 89430 | 10418 | -10463 | 10506 | 4459 | -4478 | 0.117 | 405 | 38 | 0.094
3/12/2026 | 19 | 92351 | 11823 | -11572 | 13146 | 5060 | -4952 | 0.143 | 1028 | 94 | 0.091
3/12/2026 | 20 | 92597 | 11956 | -11754 | 13935 | 5117 | -5031 | 0.151 | 1198 | 7 | 0.006
3/12/2026 | 21 | 89504 | 11777 | -11314 | 13941 | 5040 | -4842 | 0.157 | 1107 | 52 | 0.047
3/12/2026 | 22 | 85836 | 11199 | -10766 | 14373 | 4793 | -4608 | 0.169 | 1160 | 0 | 0
3/12/2026 | 23 | 80677 | 12660 | -12076 | 14475 | 5418 | -5168 | 0.181 | 1373 | 49 | 0.036
3/12/2026 | 24 | 75480 | 13073 | -12457 | 14186 | 5595 | -5332 | 0.19 | 1197 | 4 | 0.003
3/13/2026 | 1 | 72392 | 14424 | -13628 | 13803 | 6174 | -5833 | 0.193 | 1212 | 130 | 0.107
3/13/2026 | 2 | 70021 | 14384 | -13737 | 13491 | 6157 | -5880 | 0.195 | 945 | 114 | 0.121
3/13/2026 | 3 | 68544 | 14112 | -13633 | 13350 | 6040 | -5835 | 0.196 | 979 | 165 | 0.169
3/13/2026 | 4 | 68358 | 14096 | -13634 | 13379 | 6033 | -5836 | 0.197 | 941 | 147 | 0.156
3/13/2026 | 5 | 69961 | 14235 | -13950 | 13729 | 6092 | -5970 | 0.197 | 919 | 113 | 0.123
3/13/2026 | 6 | 73835 | 13979 | -13816 | 14543 | 5983 | -5913 | 0.197 | 926 | 132 | 0.143
3/13/2026 | 7 | 80211 | 10787 | -11079 | 15612 | 4617 | -4742 | 0.194 | 1689 | 272 | 0.161
3/13/2026 | 8 | 83743 | 10734 | -11200 | 14851 | 4594 | -4794 | 0.176 | 1393 | 382 | 0.274
3/13/2026 | 9 | 83101 | 9500 | -10239 | 11079 | 4066 | -4382 | 0.131 | 657 | 114 | 0.174
3/13/2026 | 10 | 80566 | 9219 | -9833 | 9037 | 3946 | -4209 | 0.11 | 53 | 11 | 0.208
3/13/2026 | 11 | 79431 | 9124 | -9916 | 8690 | 3905 | -4244 | 0.106 | 0 | 0 | 0
3/13/2026 | 12 | 78002 | 9212 | -10015 | 8695 | 3942 | -4286 | 0.108 | 0 | 0 | 0
3/13/2026 | 13 | 77583 | 9103 | -9903 | 8418 | 3896 | -4238 | 0.105 | 0 | 0 | 0
3/13/2026 | 14 | 79190 | 9187 | -9943 | 8540 | 3932 | -4255 | 0.105 | 5 | 2 | 0.4
3/13/2026 | 15 | 81955 | 8855 | -9710 | 9023 | 3790 | -4156 | 0.107 | 277 | 69 | 0.249
3/13/2026 | 16 | 84646 | 8891 | -9548 | 9681 | 3805 | -4086 | 0.112 | 460 | 82 | 0.178
3/13/2026 | 17 | 87082 | 9321 | -10014 | 10742 | 3990 | -4286 | 0.121 | 763 | 111 | 0.145
3/13/2026 | 18 | 89616 | 10375 | -10527 | 12406 | 4441 | -4506 | 0.138 | 1184 | 162 | 0.137
3/13/2026 | 19 | 90502 | 11912 | -12128 | 13991 | 5099 | -5191 | 0.154 | 838 | 104 | 0.124
3/13/2026 | 20 | 89809 | 12189 | -12282 | 14039 | 5217 | -5257 | 0.156 | 654 | 0 | 0
3/13/2026 | 21 | 87459 | 11911 | -11816 | 13951 | 5098 | -5057 | 0.16 | 586 | 8 | 0.014
3/13/2026 | 22 | 84104 | 11794 | -11495 | 13661 | 5048 | -4920 | 0.163 | 1009 | 85 | 0.084
3/13/2026 | 23 | 79437 | 13739 | -13175 | 13327 | 5880 | -5639 | 0.17 | 840 | 30 | 0.036
3/13/2026 | 24 | 75088 | 14696 | -14019 | 12922 | 6290 | -6000 | 0.174 | 792 | 30 | 0.038
3/14/2026 | 1 | 72443 | 14932 | -14272 | 12174 | 6391 | -6108 | 0.17 | 1181 | 206 | 0.174
3/14/2026 | 2 | 70088 | 14677 | -14018 | 11491 | 6282 | -6000 | 0.166 | 734 | 105 | 0.143
3/14/2026 | 3 | 67881 | 14749 | -14069 | 10616 | 6313 | -6022 | 0.159 | 816 | 97 | 0.119
3/14/2026 | 4 | 66986 | 14488 | -13813 | 10018 | 6201 | -5912 | 0.152 | 654 | 87 | 0.133
3/14/2026 | 5 | 67559 | 14577 | -14013 | 9745 | 6239 | -5997 | 0.147 | 140 | 19 | 0.136
3/14/2026 | 6 | 69482 | 14364 | -13804 | 9532 | 6148 | -5908 | 0.14 | 284 | 34 | 0.12
3/14/2026 | 7 | 72910 | 12272 | -11906 | 9726 | 5252 | -5096 | 0.135 | 943 | 90 | 0.095
3/14/2026 | 8 | 75421 | 11979 | -12029 | 9240 | 5127 | -5149 | 0.122 | 217 | 30 | 0.138
3/14/2026 | 9 | 76295 | 9188 | -9722 | 7631 | 3933 | -4161 | 0.098 | 442 | 69 | 0.156
3/14/2026 | 10 | 74695 | 8625 | -9298 | 6840 | 3691 | -3979 | 0.089 | 0 | 0 | 0
3/14/2026 | 11 | 72375 | 9000 | -9600 | 6758 | 3852 | -4109 | 0.091 | 0 | 0 | 0
3/14/2026 | 12 | 69809 | 9217 | -9390 | 6699 | 3945 | -4019 | 0.095 | 0 | 0 | 0
3/14/2026 | 13 | 68246 | 9271 | -9622 | 6586 | 3968 | -4118 | 0.095 | 0 | 0 | 0
3/14/2026 | 14 | 68337 | 8949 | -9465 | 6484 | 3830 | -4051 | 0.092 | 0 | 0 | 0
3/14/2026 | 15 | 69616 | 8641 | -9256 | 6505 | 3699 | -3962 | 0.09 | 0 | 0 | 0
3/14/2026 | 16 | 72261 | 8691 | -9409 | 6746 | 3720 | -4027 | 0.09 | 14 | 4 | 0.286
3/14/2026 | 17 | 75325 | 9387 | -9909 | 7213 | 4018 | -4241 | 0.093 | 67 | 14 | 0.209
3/14/2026 | 18 | 79263 | 10632 | -10644 | 8045 | 4550 | -4556 | 0.101 | 0 | 0 | 0
3/14/2026 | 19 | 83783 | 12562 | -12718 | 9717 | 5376 | -5443 | 0.115 | 478 | 50 | 0.105
3/14/2026 | 20 | 85666 | 12797 | -12898 | 10464 | 5477 | -5520 | 0.122 | 785 | 85 | 0.108
3/14/2026 | 21 | 84427 | 11522 | -11464 | 10350 | 4932 | -4907 | 0.123 | 870 | 95 | 0.109
3/14/2026 | 22 | 82524 | 11070 | -11037 | 10388 | 4738 | -4724 | 0.126 | 534 | 62 | 0.116
3/14/2026 | 23 | 78286 | 12670 | -12135 | 10040 | 5423 | -5194 | 0.13 | 0 | 0 | 0
3/14/2026 | 24 | 74314 | 13236 | -12428 | 10181 | 5665 | -5319 | 0.14 | 0 | 0 | 0
3/15/2026 | 1 | 71554 | 11713 | -10920 | 10540 | 5013 | -4674 | 0.15 | 259 | 27 | 0.104
3/15/2026 | 2 | 69338 | 10685 | -9932 | 10319 | 4573 | -4251 | 0.152 | 88 | 10 | 0.114
3/15/2026 | 3 | 67749 | 10530 | -9810 | 10477 | 4507 | -4199 | 0.158 | 831 | 26 | 0.031
3/15/2026 | 4 | 67216 | 10595 | -10093 | 10444 | 4535 | -4320 | 0.157 | 679 | 20 | 0.029
3/15/2026 | 5 | 67832 | 10503 | -10078 | 10599 | 4496 | -4313 | 0.158 | 179 | 0 | 0
3/15/2026 | 6 | 69169 | 10850 | -10188 | 10693 | 4644 | -4360 | 0.157 | 49 | 0 | 0
3/15/2026 | 7 | 71816 | 10332 | -9814 | 10798 | 4422 | -4200 | 0.152 | 0 | 0 | 0
3/15/2026 | 8 | 74209 | 10157 | -9995 | 10520 | 4347 | -4278 | 0.142 | 0 | 0 | 0
3/15/2026 | 9 | 73894 | 9340 | -9358 | 7745 | 3997 | -4005 | 0.105 | 0 | 0 | 0
3/15/2026 | 10 | 71770 | 9391 | -9561 | 6994 | 4020 | -4092 | 0.097 | 0 | 0 | 0
3/15/2026 | 11 | 69716 | 8838 | -9200 | 6762 | 3783 | -3938 | 0.095 | 0 | 0 | 0
3/15/2026 | 12 | 67739 | 8829 | -9252 | 6642 | 3779 | -3960 | 0.096 | 0 | 0 | 0
3/15/2026 | 13 | 66666 | 8721 | -9277 | 6663 | 3732 | -3971 | 0.097 | 0 | 0 | 0
3/15/2026 | 14 | 67454 | 8709 | -9442 | 6579 | 3728 | -4041 | 0.094 | 0 | 0 | 0
3/15/2026 | 15 | 69426 | 8680 | -9400 | 6723 | 3715 | -4023 | 0.093 | 0 | 0 | 0
3/15/2026 | 16 | 73523 | 8811 | -9574 | 7248 | 3771 | -4098 | 0.095 | 0 | 0 | 0
3/15/2026 | 17 | 78911 | 9021 | -9652 | 8242 | 3861 | -4131 | 0.102 | 0 | 0 | 0
3/15/2026 | 18 | 84092 | 9911 | -9896 | 11026 | 4242 | -4236 | 0.131 | 0 | 0 | 0
3/15/2026 | 19 | 87500 | 12462 | -12060 | 13810 | 5334 | -5162 | 0.159 | 849 | 0 | 0
3/15/2026 | 20 | 88085 | 12549 | -11941 | 14440 | 5371 | -5110 | 0.166 | 915 | 0 | 0
3/15/2026 | 21 | 86123 | 12628 | -12038 | 14704 | 5405 | -5152 | 0.172 | 765 | 0 | 0
3/15/2026 | 22 | 82772 | 12599 | -12023 | 14574 | 5392 | -5146 | 0.178 | 884 | 16 | 0.018
3/15/2026 | 23 | 77477 | 12299 | -11476 | 14710 | 5264 | -4911 | 0.192 | 745 | 10 | 0.013
3/15/2026 | 24 | 73359 | 11814 | -11139 | 14992 | 5056 | -4768 | 0.206 | 1105 | 0 | 0
3/16/2026 | 1 | 70387 | 13417 | -12573 | 14901 | 5743 | -5381 | 0.214 | 1224 | 3 | 0.002
3/16/2026 | 2 | 67868 | 14183 | -13044 | 14290 | 6070 | -5583 | 0.214 | 1127 | 16 | 0.014
3/16/2026 | 3 | 66604 | 14130 | -13115 | 14025 | 6048 | -5613 | 0.214 | 1329 | 50 | 0.038
3/16/2026 | 4 | 66335 | 13476 | -12489 | 13846 | 5768 | -5345 | 0.212 | 959 | 30 | 0.031
3/16/2026 | 5 | 68641 | 13020 | -12729 | 13622 | 5572 | -5448 | 0.199 | 901 | 2 | 0.002
3/16/2026 | 6 | 73387 | 12430 | -12540 | 13937 | 5320 | -5367 | 0.19 | 745 | 24 | 0.032
3/16/2026 | 7 | 79380 | 11243 | -11406 | 14341 | 4812 | -4882 | 0.18 | 904 | 0 | 0
3/16/2026 | 8 | 82336 | 11556 | -11438 | 14288 | 4946 | -4896 | 0.174 | 961 | 1 | 0.001
3/16/2026 | 9 | 81563 | 9757 | -9826 | 10743 | 4176 | -4205 | 0.131 | 381 | 50 | 0.131
3/16/2026 | 10 | 79054 | 9060 | -9155 | 8242 | 3878 | -3919 | 0.104 | 0 | 0 | 0
3/16/2026 | 11 | 77324 | 9346 | -9287 | 7780 | 4000 | -3975 | 0.101 | 0 | 0 | 0
3/16/2026 | 12 | 76307 | 9640 | -9659 | 7553 | 4126 | -4134 | 0.099 | 0 | 0 | 0
3/16/2026 | 13 | 75911 | 9380 | -9385 | 7420 | 4015 | -4017 | 0.098 | 0 | 0 | 0
3/16/2026 | 14 | 76857 | 9432 | -9592 | 7314 | 4037 | -4106 | 0.094 | 0 | 0 | 0
3/16/2026 | 15 | 77816 | 9625 | -9711 | 7289 | 4119 | -4156 | 0.093 | 0 | 0 | 0
3/16/2026 | 16 | 81086 | 10002 | -10284 | 7909 | 4281 | -4401 | 0.096 | 0 | 0 | 0
3/16/2026 | 17 | 85406 | 11365 | -11725 | 8933 | 4864 | -5018 | 0.103 | 271 | 42 | 0.155
3/16/2026 | 18 | 89926 | 12613 | -12806 | 11421 | 5398 | -5481 | 0.126 | 498 | 61 | 0.122
3/16/2026 | 19 | 92201 | 13707 | -13868 | 14209 | 5867 | -5935 | 0.154 | 939 | 38 | 0.04
3/16/2026 | 20 | 91648 | 14932 | -15038 | 14514 | 6391 | -6436 | 0.158 | 1456 | 147 | 0.101
3/16/2026 | 21 | 89078 | 15355 | -15254 | 14300 | 6572 | -6529 | 0.161 | 1804 | 163 | 0.09
3/16/2026 | 22 | 84861 | 14597 | -14266 | 13518 | 6247 | -6106 | 0.16 | 1732 | 188 | 0.109
3/16/2026 | 23 | 79218 | 15225 | -14340 | 12727 | 6516 | -6138 | 0.164 | 1152 | 174 | 0.151
3/16/2026 | 24 | 73792 | 15888 | -14880 | 12547 | 6800 | -6369 | 0.174 | 953 | 156 | 0.164
3/17/2026 | 1 | 70496 | 15867 | -14679 | 12564 | 6791 | -6283 | 0.182 | 922 | 121 | 0.131
3/17/2026 | 2 | 68016 | 15761 | -14589 | 12226 | 6746 | -6244 | 0.184 | 850 | 126 | 0.148
3/17/2026 | 3 | 66376 | 15370 | -14402 | 11622 | 6578 | -6164 | 0.179 | 980 | 140 | 0.143
3/17/2026 | 4 | 65800 | 15349 | -14462 | 11480 | 6570 | -6190 | 0.178 | 818 | 137 | 0.167
3/17/2026 | 5 | 67408 | 15232 | -14391 | 11730 | 6520 | -6159 | 0.177 | 608 | 102 | 0.168
3/17/2026 | 6 | 71650 | 15339 | -14691 | 12131 | 6565 | -6288 | 0.172 | 106 | 0 | 0
3/17/2026 | 7 | 77149 | 15682 | -15013 | 12444 | 6712 | -6426 | 0.164 | 491 | 53 | 0.108
3/17/2026 | 8 | 80142 | 15005 | -14510 | 12358 | 6422 | -6210 | 0.156 | 348 | 42 | 0.121
3/17/2026 | 9 | 79398 | 11621 | -11537 | 9419 | 4974 | -4938 | 0.119 | 0 | 0 | 0
3/17/2026 | 10 | 78024 | 10459 | -10523 | 8561 | 4476 | -4504 | 0.109 | 0 | 0 | 0
3/17/2026 | 11 | 77588 | 10585 | -10613 | 8302 | 4531 | -4542 | 0.107 | 0 | 0 | 0
3/17/2026 | 12 | 77874 | 10685 | -10740 | 8085 | 4573 | -4597 | 0.104 | 0 | 0 | 0
3/17/2026 | 13 | 78603 | 10522 | -10511 | 8106 | 4503 | -4498 | 0.103 | 0 | 0 | 0
3/17/2026 | 14 | 80788 | 10897 | -11185 | 8328 | 4664 | -4787 | 0.102 | 43 | 5 | 0.116
3/17/2026 | 15 | 83723 | 11359 | -11841 | 8666 | 4862 | -5068 | 0.102 | 280 | 48 | 0.171
3/17/2026 | 16 | 87411 | 12005 | -12435 | 9413 | 5138 | -5322 | 0.106 | 515 | 61 | 0.118
3/17/2026 | 17 | 91123 | 13125 | -13168 | 10389 | 5618 | -5636 | 0.114 | 678 | 107 | 0.158
3/17/2026 | 18 | 94700 | 16560 | -15954 | 12313 | 7088 | -6828 | 0.132 | 486 | 76 | 0.156
3/17/2026 | 19 | 96778 | 17625 | -16825 | 14990 | 7543 | -7201 | 0.157 | 880 | 94 | 0.107
3/17/2026 | 20 | 95257 | 17584 | -16674 | 16197 | 7526 | -7136 | 0.172 | 1047 | 96 | 0.092
3/17/2026 | 21 | 91145 | 17650 | -16384 | 16102 | 7554 | -7012 | 0.18 | 1028 | 151 | 0.147
3/17/2026 | 22 | 86563 | 16824 | -15336 | 15722 | 7201 | -6564 | 0.186 | 1265 | 232 | 0.183
3/17/2026 | 23 | 80792 | 15941 | -14510 | 15465 | 6823 | -6210 | 0.196 | 1306 | 236 | 0.181
3/17/2026 | 24 | 75733 | 16601 | -15145 | 15010 | 7105 | -6482 | 0.203 | 1503 | 336 | 0.224
3/18/2026 | 1 | 72143 | 16749 | -15489 | 14477 | 7169 | -6629 | 0.205 | 1373 | 346 | 0.252
3/18/2026 | 2 | 69214 | 16557 | -15300 | 14020 | 7086 | -6549 | 0.207 | 1638 | 456 | 0.278
3/18/2026 | 3 | 67033 | 16466 | -15150 | 13600 | 7047 | -6485 | 0.207 | 1564 | 290 | 0.185
3/18/2026 | 4 | 65829 | 16188 | -14906 | 12999 | 6928 | -6380 | 0.202 | 1369 | 227 | 0.166
3/18/2026 | 5 | 67016 | 16472 | -15068 | 12882 | 7050 | -6449 | 0.197 | 1548 | 164 | 0.106
3/18/2026 | 6 | 71588 | 16186 | -15365 | 13705 | 6928 | -6576 | 0.194 | 1325 | 67 | 0.051
3/18/2026 | 7 | 76898 | 16767 | -15893 | 14677 | 7176 | -6802 | 0.194 | 1166 | 8 | 0.007
3/18/2026 | 8 | 79644 | 15736 | -14813 | 13233 | 6735 | -6340 | 0.169 | 740 | 96 | 0.13
3/18/2026 | 9 | 78117 | 12250 | -11397 | 9860 | 5243 | -4878 | 0.129 | 162 | 20 | 0.123
3/18/2026 | 10 | 77366 | 11641 | -11102 | 8879 | 4982 | -4752 | 0.117 | 0 | 0 | 0
3/18/2026 | 11 | 76416 | 11532 | -10606 | 8537 | 4936 | -4539 | 0.116 | 0 | 0 | 0
3/18/2026 | 12 | 76786 | 11538 | -10612 | 8522 | 4938 | -4542 | 0.115 | 0 | 0 | 0
3/18/2026 | 13 | 78070 | 11827 | -10669 | 8742 | 5062 | -4566 | 0.117 | 0 | 0 | 0
3/18/2026 | 14 | 81215 | 11774 | -11080 | 8874 | 5039 | -4742 | 0.112 | 0 | 0 | 0
3/18/2026 | 15 | 85650 | 11289 | -10893 | 9664 | 4832 | -4663 | 0.114 | 302 | 54 | 0.179
3/18/2026 | 16 | 89852 | 11944 | -11594 | 10632 | 5112 | -4962 | 0.12 | 558 | 60 | 0.108
3/18/2026 | 17 | 93798 | 13303 | -12732 | 11664 | 5694 | -5449 | 0.126 | 796 | 54 | 0.068
3/18/2026 | 18 | 97397 | 17547 | -16596 | 13979 | 7510 | -7103 | 0.146 | 578 | 33 | 0.057
3/18/2026 | 19 | 98833 | 18836 | -17503 | 16175 | 8062 | -7492 | 0.167 | 240 | 4 | 0.017
3/18/2026 | 20 | 96226 | 18302 | -16860 | 17479 | 7833 | -7216 | 0.185 | 922 | 118 | 0.128
3/18/2026 | 21 | 91905 | 18862 | -17249 | 16830 | 8073 | -7383 | 0.187 | 924 | 117 | 0.127
3/18/2026 | 22 | 87001 | 18284 | -16457 | 16309 | 7826 | -7043 | 0.192 | 1230 | 117 | 0.095
3/18/2026 | 23 | 81045 | 18239 | -16295 | 16067 | 7806 | -6974 | 0.204 | 1356 | 209 | 0.154
3/18/2026 | 24 | 74913 | 18128 | -16195 | 15179 | 7759 | -6932 | 0.208 | 1519 | 218 | 0.144
3/19/2026 | 1 | 70078 | 18425 | -15862 | 13939 | 7886 | -6789 | 0.207 | 806 | 3 | 0.004
3/19/2026 | 2 | 67199 | 18450 | -15895 | 13128 | 7897 | -6803 | 0.204 | 940 | 0 | 0
3/19/2026 | 3 | 64896 | 17833 | -15605 | 12253 | 7633 | -6679 | 0.197 | 827 | 0 | 0
3/19/2026 | 4 | 64408 | 17513 | -15525 | 11727 | 7495 | -6644 | 0.189 | 1058 | 0 | 0
3/19/2026 | 5 | 65877 | 17235 | -15484 | 12068 | 7376 | -6628 | 0.19 | 1281 | 0 | 0
3/19/2026 | 6 | 69727 | 17221 | -15472 | 12521 | 7371 | -6622 | 0.186 | 1255 | 0 | 0
3/19/2026 | 7 | 74865 | 17330 | -15505 | 12459 | 7417 | -6636 | 0.173 | 828 | 5 | 0.006
3/19/2026 | 8 | 77483 | 16568 | -15121 | 11054 | 7091 | -6472 | 0.148 | 529 | 4 | 0.008
3/19/2026 | 9 | 77676 | 12624 | -11935 | 8846 | 5403 | -5108 | 0.117 | 31 | 3 | 0.097
3/19/2026 | 10 | 77127 | 11936 | -11570 | 8496 | 5108 | -4952 | 0.112 | 0 | 0 | 0
3/19/2026 | 11 | 76592 | 11949 | -11550 | 8442 | 5114 | -4944 | 0.112 | 0 | 0 | 0
3/19/2026 | 12 | 77511 | 11844 | -11343 | 8738 | 5069 | -4855 | 0.115 | 116 | 15 | 0.129
3/19/2026 | 13 | 79822 | 12695 | -12077 | 9032 | 5433 | -5169 | 0.116 | 341 | 42 | 0.123
3/19/2026 | 14 | 83598 | 13198 | -12999 | 9413 | 5649 | -5564 | 0.113 | 66 | 8 | 0.121
3/19/2026 | 15 | 87834 | 13244 | -12987 | 9834 | 5668 | -5558 | 0.113 | 0 | 0 | 0
3/19/2026 | 16 | 92818 | 14963 | -14556 | 10892 | 6404 | -6230 | 0.119 | 471 | 30 | 0.064
3/19/2026 | 17 | 96898 | 16645 | -16004 | 12304 | 7124 | -6850 | 0.129 | 606 | 37 | 0.061
3/19/2026 | 18 | 100744 | 19531 | -19144 | 14687 | 8359 | -8194 | 0.147 | 198 | 9 | 0.045
3/19/2026 | 19 | 102014 | 20382 | -19612 | 18000 | 8723 | -8394 | 0.178 | 0 | 0 | 0
3/19/2026 | 20 | 99195 | 19845 | -18930 | 18561 | 8494 | -8102 | 0.189 | 259 | 4 | 0.015
3/19/2026 | 21 | 95603 | 18338 | -17398 | 18102 | 7849 | -7446 | 0.192 | 745 | 41 | 0.055
3/19/2026 | 22 | 88647 | 18578 | -16924 | 17565 | 7951 | -7244 | 0.202 | 1552 | 385 | 0.248
3/19/2026 | 23 | 82126 | 18213 | -16100 | 17886 | 7795 | -6891 | 0.223 | 1699 | 517 | 0.304
3/19/2026 | 24 | 75732 | 17932 | -15877 | 17101 | 7675 | -6796 | 0.231 | 1619 | 397 | 0.245
3/20/2026 | 1 | 72928 | 16440 | -15455 | 15909 | 7036 | -6614 | 0.221 | 1890 | 734 | 0.388
3/20/2026 | 2 | 69373 | 16768 | -15574 | 14319 | 7177 | -6666 | 0.21 | 1896 | 442 | 0.233
3/20/2026 | 3 | 67129 | 17250 | -15892 | 13288 | 7383 | -6802 | 0.203 | 1164 | 51 | 0.044
3/20/2026 | 4 | 66426 | 17090 | -15871 | 13145 | 7314 | -6793 | 0.202 | 1053 | 55 | 0.052
3/20/2026 | 5 | 67187 | 17095 | -15797 | 13274 | 7317 | -6761 | 0.202 | 976 | 19 | 0.019
3/20/2026 | 6 | 70400 | 17041 | -15811 | 13439 | 7294 | -6767 | 0.195 | 616 | 11 | 0.018
3/20/2026 | 7 | 75453 | 17119 | -15973 | 13552 | 7327 | -6836 | 0.183 | 1055 | 113 | 0.107
3/20/2026 | 8 | 78036 | 15868 | -14950 | 12120 | 6791 | -6399 | 0.158 | 936 | 108 | 0.115
3/20/2026 | 9 | 78523 | 12702 | -12270 | 9395 | 5436 | -5251 | 0.121 | 312 | 3 | 0.01
3/20/2026 | 10 | 78333 | 11875 | -11451 | 8551 | 5083 | -4901 | 0.111 | 0 | 0 | 0
3/20/2026 | 11 | 78268 | 12054 | -11568 | 8561 | 5159 | -4951 | 0.111 | 31 | 0 | 0
3/20/2026 | 12 | 79589 | 12224 | -12083 | 8598 | 5232 | -5171 | 0.109 | 12 | 3 | 0.25
3/20/2026 | 13 | 82075 | 12752 | -12298 | 9002 | 5458 | -5263 | 0.111 | 219 | 73 | 0.333
3/20/2026 | 14 | 85730 | 13786 | -13450 | 9726 | 5900 | -5756 | 0.115 | 185 | 55 | 0.297
3/20/2026 | 15 | 90127 | 14462 | -14286 | 10619 | 6190 | -6114 | 0.118 | 416 | 126 | 0.303
3/20/2026 | 16 | 94400 | 15624 | -15929 | 11274 | 6687 | -6818 | 0.118 | 730 | 305 | 0.418
3/20/2026 | 17 | 98270 | 16740 | -16928 | 12448 | 7165 | -7245 | 0.126 | 1427 | 405 | 0.284
3/20/2026 | 18 | 101277 | 18876 | -18840 | 15678 | 8079 | -8064 | 0.155 | 601 | 136 | 0.226
3/20/2026 | 19 | 100578 | 21003 | -20408 | 18615 | 8990 | -8734 | 0.187 | 32 | 2 | 0.062
3/20/2026 | 20 | 96005 | 19923 | -18982 | 19040 | 8527 | -8124 | 0.201 | 281 | 18 | 0.064
3/20/2026 | 21 | 91787 | 18780 | -17584 | 18256 | 8038 | -7526 | 0.202 | 937 | 34 | 0.036
3/20/2026 | 22 | 88146 | 17760 | -16380 | 18015 | 7601 | -7011 | 0.208 | 1256 | 156 | 0.124
3/20/2026 | 23 | 82146 | 16714 | -15006 | 18144 | 7154 | -6423 | 0.225 | 1247 | 138 | 0.111
3/20/2026 | 24 | 76754 | 16638 | -15054 | 16894 | 7121 | -6443 | 0.224 | 1414 | 282 | 0.199
3/21/2026 | 1 | 72768 | 15785 | -14048 | 15459 | 6756 | -6012 | 0.217 | 1112 | 171 | 0.154
3/21/2026 | 2 | 69832 | 15350 | -13870 | 14660 | 6570 | -5937 | 0.214 | 1130 | 32 | 0.028
3/21/2026 | 3 | 66980 | 15789 | -14144 | 13818 | 6758 | -6053 | 0.212 | 1190 | 41 | 0.034
3/21/2026 | 4 | 65547 | 15869 | -14197 | 12955 | 6792 | -6076 | 0.203 | 1264 | 136 | 0.108
3/21/2026 | 5 | 65792 | 15526 | -14256 | 12760 | 6646 | -6101 | 0.198 | 1151 | 198 | 0.172
3/21/2026 | 6 | 67189 | 15680 | -14519 | 12695 | 6711 | -6214 | 0.193 | 1146 | 175 | 0.153
3/21/2026 | 7 | 70320 | 15608 | -14944 | 12545 | 6680 | -6396 | 0.181 | 1482 | 280 | 0.189
3/21/2026 | 8 | 72146 | 15142 | -14927 | 10932 | 6481 | -6389 | 0.152 | 1265 | 205 | 0.162
3/21/2026 | 9 | 73110 | 12187 | -12395 | 8234 | 5216 | -5305 | 0.112 | 173 | 26 | 0.15
3/21/2026 | 10 | 74024 | 11617 | -12049 | 7870 | 4972 | -5157 | 0.104 | 0 | 0 | 0
3/21/2026 | 11 | 73459 | 11593 | -12071 | 7665 | 4962 | -5166 | 0.102 | 0 | 0 | 0
3/21/2026 | 12 | 73724 | 11991 | -12358 | 7576 | 5132 | -5289 | 0.101 | 0 | 0 | 0
3/21/2026 | 13 | 75059 | 12131 | -12690 | 7642 | 5192 | -5431 | 0.099 | 0 | 0 | 0
3/21/2026 | 14 | 77289 | 11660 | -12178 | 7743 | 4991 | -5212 | 0.098 | 0 | 0 | 0
3/21/2026 | 15 | 80369 | 11976 | -12583 | 7881 | 5126 | -5386 | 0.096 | 0 | 0 | 0
3/21/2026 | 16 | 83783 | 12437 | -13184 | 8479 | 5323 | -5642 | 0.098 | 0 | 0 | 0
3/21/2026 | 17 | 87744 | 14368 | -14969 | 9128 | 6149 | -6407 | 0.102 | 0 | 0 | 0
3/21/2026 | 18 | 91389 | 17188 | -17556 | 10682 | 7357 | -7514 | 0.116 | 4 | 1 | 0.25
3/21/2026 | 19 | 92171 | 18212 | -18268 | 12213 | 7795 | -7818 | 0.132 | 70 | 0 | 0
3/21/2026 | 20 | 90055 | 18126 | -17938 | 12327 | 7758 | -7678 | 0.137 | 542 | 19 | 0.035
3/21/2026 | 21 | 87139 | 16451 | -15827 | 11633 | 7041 | -6774 | 0.136 | 1061 | 53 | 0.05
3/21/2026 | 22 | 83813 | 15505 | -14887 | 11496 | 6636 | -6372 | 0.139 | 1146 | 20 | 0.017
3/21/2026 | 23 | 79642 | 15594 | -14674 | 12000 | 6674 | -6280 | 0.154 | 402 | 0 | 0
3/21/2026 | 24 | 75210 | 15184 | -14342 | 11752 | 6499 | -6138 | 0.159 | 823 | 0 | 0
3/22/2026 | 1 | 71506 | 15328 | -14004 | 11326 | 6560 | -5994 | 0.163 | 963 | 0 | 0
3/22/2026 | 2 | 68586 | 15556 | -14031 | 11195 | 6658 | -6006 | 0.169 | 952 | 0 | 0
3/22/2026 | 3 | 66726 | 15403 | -13811 | 11173 | 6592 | -5911 | 0.174 | 1043 | 33 | 0.032
3/22/2026 | 4 | 65866 | 15044 | -13471 | 11536 | 6439 | -5766 | 0.181 | 1000 | 0 | 0
3/22/2026 | 5 | 65709 | 14483 | -13012 | 11806 | 6199 | -5569 | 0.185 | 1006 | 0 | 0
3/22/2026 | 6 | 67022 | 14463 | -13207 | 11512 | 6190 | -5652 | 0.176 | 846 | 0 | 0
3/22/2026 | 7 | 69704 | 13605 | -12486 | 11845 | 5823 | -5344 | 0.174 | 916 | 0 | 0
3/22/2026 | 8 | 71113 | 14030 | -12649 | 10849 | 6005 | -5414 | 0.158 | 426 | 0 | 0
3/22/2026 | 9 | 71509 | 12217 | -11263 | 8623 | 5229 | -4820 | 0.125 | 142 | 23 | 0.162
3/22/2026 | 10 | 70538 | 12140 | -11376 | 7813 | 5196 | -4869 | 0.114 | 0 | 0 | 0
3/22/2026 | 11 | 68809 | 12482 | -11695 | 7645 | 5342 | -5006 | 0.115 | 0 | 0 | 0
3/22/2026 | 12 | 68787 | 12262 | -11488 | 7808 | 5248 | -4917 | 0.117 | 0 | 0 | 0
3/22/2026 | 13 | 69150 | 12296 | -11378 | 7743 | 5263 | -4870 | 0.116 | 0 | 0 | 0
3/22/2026 | 14 | 70990 | 12180 | -11727 | 7681 | 5213 | -5019 | 0.11 | 0 | 0 | 0
3/22/2026 | 15 | 74188 | 11939 | -11467 | 8148 | 5110 | -4908 | 0.112 | 0 | 0 | 0
3/22/2026 | 16 | 77979 | 12824 | -12373 | 8936 | 5489 | -5296 | 0.116 | 0 | 0 | 0
3/22/2026 | 17 | 82383 | 13206 | -12324 | 10318 | 5652 | -5275 | 0.128 | 0 | 0 | 0
3/22/2026 | 18 | 86480 | 15213 | -14329 | 12114 | 6511 | -6133 | 0.143 | 0 | 0 | 0
3/22/2026 | 19 | 88697 | 17769 | -16557 | 13661 | 7605 | -7086 | 0.158 | 377 | 0 | 0
3/22/2026 | 20 | 88769 | 16889 | -15623 | 14303 | 7229 | -6687 | 0.165 | 524 | 0 | 0
3/22/2026 | 21 | 86997 | 16205 | -14773 | 14194 | 6936 | -6323 | 0.167 | 2 | 0 | 0
3/22/2026 | 22 | 83340 | 15283 | -13792 | 14276 | 6541 | -5903 | 0.176 | 367 | 0 | 0
3/22/2026 | 23 | 78486 | 14877 | -13490 | 13947 | 6367 | -5774 | 0.182 | 646 | 11 | 0.017
3/22/2026 | 24 | 73753 | 14702 | -13265 | 13892 | 6292 | -5678 | 0.193 | 830 | 4 | 0.005
3/23/2026 | 1 | 70425 | 14520 | -13010 | 13587 | 6214 | -5568 | 0.198 | 720 | 0 | 0
3/23/2026 | 2 | 67534 | 14894 | -13225 | 13314 | 6375 | -5660 | 0.203 | 759 | 0 | 0
3/23/2026 | 3 | 66181 | 14867 | -13195 | 13128 | 6363 | -5648 | 0.204 | 99 | 0 | 0
3/23/2026 | 4 | 66146 | 14772 | -13081 | 13352 | 6322 | -5599 | 0.207 | 147 | 0 | 0
3/23/2026 | 5 | 68307 | 14244 | -12757 | 13716 | 6097 | -5460 | 0.206 | 0 | 0 | 0
3/23/2026 | 6 | 72693 | 14556 | -13121 | 14106 | 6230 | -5616 | 0.199 | 182 | 0 | 0
3/23/2026 | 7 | 78709 | 13982 | -12655 | 14553 | 5985 | -5416 | 0.189 | 0 | 0 | 0
3/23/2026 | 8 | 81989 | 12102 | -10783 | 14303 | 5180 | -4615 | 0.178 | 240 | 0 | 0
3/23/2026 | 9 | 82050 | 10946 | -10036 | 11350 | 4685 | -4295 | 0.142 | 0 | 0 | 0
3/23/2026 | 10 | 79939 | 10108 | -9198 | 9526 | 4326 | -3937 | 0.123 | 0 | 0 | 0
3/23/2026 | 11 | 77786 | 9854 | -9084 | 9243 | 4218 | -3888 | 0.122 | 0 | 0 | 0
3/23/2026 | 12 | 77078 | 10218 | -9481 | 9212 | 4373 | -4058 | 0.122 | 0 | 0 | 0
3/23/2026 | 13 | 77086 | 10417 | -9630 | 9312 | 4458 | -4122 | 0.124 | 0 | 0 | 0
3/23/2026 | 14 | 78020 | 10656 | -9826 | 9245 | 4561 | -4206 | 0.122 | 0 | 0 | 0
3/23/2026 | 15 | 80221 | 10890 | -10040 | 9084 | 4661 | -4297 | 0.117 | 0 | 0 | 0
3/23/2026 | 16 | 83956 | 11113 | -10291 | 9484 | 4756 | -4405 | 0.116 | 0 | 0 | 0
3/23/2026 | 17 | 88566 | 11372 | -10705 | 10422 | 4867 | -4582 | 0.12 | 0 | 0 | 0
3/23/2026 | 18 | 92768 | 13504 | -12616 | 12862 | 5780 | -5400 | 0.141 | 0 | 0 | 0
3/23/2026 | 19 | 94141 | 15625 | -14320 | 15163 | 6687 | -6129 | 0.165 | 505 | 0 | 0
3/23/2026 | 20 | 93231 | 15537 | -14357 | 15108 | 6650 | -6145 | 0.165 | 1027 | 0 | 0
3/23/2026 | 21 | 90610 | 14410 | -13364 | 14623 | 6167 | -5720 | 0.164 | 1030 | 0 | 0
3/23/2026 | 22 | 86010 | 13528 | -12397 | 14241 | 5790 | -5306 | 0.169 | 1267 | 9 | 0.007
3/23/2026 | 23 | 80219 | 14679 | -13410 | 14191 | 6283 | -5739 | 0.181 | 1083 | 16 | 0.015
3/23/2026 | 24 | 74952 | 14768 | -13275 | 13869 | 6320 | -5681 | 0.19 | 1408 | 28 | 0.02
3/24/2026 | 1 | 71436 | 15205 | -13656 | 13623 | 6508 | -5845 | 0.196 | 1050 | 10 | 0.01
3/24/2026 | 2 | 68406 | 15193 | -13737 | 13415 | 6503 | -5879 | 0.201 | 1235 | 8 | 0.006
3/24/2026 | 3 | 66574 | 15116 | -13688 | 13138 | 6470 | -5858 | 0.202 | 1097 | 0 | 0
3/24/2026 | 4 | 66166 | 14569 | -13405 | 12627 | 6236 | -5738 | 0.195 | 1397 | 79 | 0.057
3/24/2026 | 5 | 67801 | 14142 | -13143 | 12305 | 6053 | -5625 | 0.185 | 1160 | 108 | 0.093
3/24/2026 | 6 | 71651 | 14280 | -13336 | 12853 | 6112 | -5708 | 0.183 | 962 | 102 | 0.106
3/24/2026 | 7 | 77495 | 14249 | -13250 | 13358 | 6099 | -5671 | 0.176 | 640 | 76 | 0.119
3/24/2026 | 8 | 80545 | 14107 | -13002 | 12602 | 6038 | -5565 | 0.16 | 860 | 128 | 0.149
3/24/2026 | 9 | 80472 | 9992 | -9573 | 9930 | 4277 | -4097 | 0.125 | 250 | 37 | 0.148
3/24/2026 | 10 | 79450 | 9460 | -9226 | 9245 | 4049 | -3949 | 0.117 | 2 | 1 | 0.5
3/24/2026 | 11 | 78557 | 9384 | -9298 | 8921 | 4016 | -3979 | 0.114 | 13 | 3 | 0.231
3/24/2026 | 12 | 78477 | 9427 | -9282 | 8895 | 4035 | -3973 | 0.114 | 303 | 69 | 0.228
3/24/2026 | 13 | 79435 | 10243 | -10134 | 8837 | 4384 | -4338 | 0.112 | 39 | 8 | 0.205
3/24/2026 | 14 | 81699 | 10602 | -10663 | 8922 | 4538 | -4564 | 0.109 | 10 | 2 | 0.2
3/24/2026 | 15 | 83963 | 10849 | -11071 | 8671 | 4643 | -4739 | 0.102 | 0 | 0 | 0
3/24/2026 | 16 | 87209 | 12212 | -12519 | 8735 | 5227 | -5358 | 0.099 | 0 | 0 | 0
3/24/2026 | 17 | 91132 | 13578 | -14090 | 9078 | 5811 | -6030 | 0.098 | 0 | 0 | 0
3/24/2026 | 18 | 94718 | 16785 | -17071 | 11234 | 7184 | -7306 | 0.118 | 0 | 0 | 0
3/24/2026 | 19 | 96471 | 18422 | -18283 | 13750 | 7884 | -7825 | 0.143 | 0 | 0 | 0
3/24/2026 | 20 | 94450 | 17883 | -17728 | 14147 | 7654 | -7587 | 0.15 | 78 | 0 | 0
3/24/2026 | 21 | 91548 | 17496 | -16777 | 13762 | 7488 | -7180 | 0.152 | 623 | 57 | 0.091
3/24/2026 | 22 | 87098 | 15627 | -14840 | 13223 | 6688 | -6351 | 0.154 | 1075 | 75 | 0.07
3/24/2026 | 23 | 81453 | 15490 | -14759 | 12801 | 6630 | -6317 | 0.16 | 822 | 82 | 0.1
3/24/2026 | 24 | 75659 | 16184 | -14958 | 12349 | 6927 | -6402 | 0.167 | 1133 | 92 | 0.081
3/25/2026 | 1 | 71656 | 16807 | -15351 | 11752 | 7193 | -6570 | 0.169 | 619 | 8 | 0.013
3/25/2026 | 2 | 68935 | 16687 | -15384 | 11276 | 7142 | -6584 | 0.168 | 692 | 79 | 0.114
3/25/2026 | 3 | 67019 | 16578 | -15221 | 10986 | 7095 | -6515 | 0.169 | 1054 | 243 | 0.231
3/25/2026 | 4 | 66302 | 16461 | -15126 | 10650 | 7046 | -6474 | 0.166 | 888 | 169 | 0.19
3/25/2026 | 5 | 67636 | 16590 | -15218 | 10908 | 7101 | -6513 | 0.167 | 1082 | 142 | 0.131
3/25/2026 | 6 | 71723 | 16374 | -15067 | 11592 | 7008 | -6449 | 0.166 | 826 | 87 | 0.105
3/25/2026 | 7 | 77566 | 14386 | -13271 | 11890 | 6157 | -5680 | 0.157 | 802 | 0 | 0
3/25/2026 | 8 | 80804 | 13485 | -12653 | 10752 | 5772 | -5416 | 0.136 | 559 | 40 | 0.072
3/25/2026 | 9 | 80304 | 11279 | -11056 | 8456 | 4827 | -4732 | 0.106 | 0 | 0 | 0
3/25/2026 | 10 | 78031 | 10708 | -10558 | 7908 | 4583 | -4519 | 0.102 | 0 | 0 | 0
3/25/2026 | 11 | 76275 | 10599 | -10556 | 7999 | 4536 | -4518 | 0.105 | 0 | 0 | 0
3/25/2026 | 12 | 76741 | 10533 | -10917 | 8212 | 4508 | -4672 | 0.105 | 0 | 0 | 0
3/25/2026 | 13 | 77795 | 11001 | -11318 | 8101 | 4709 | -4844 | 0.103 | 0 | 0 | 0
3/25/2026 | 14 | 80222 | 11226 | -11636 | 8230 | 4805 | -4980 | 0.101 | 0 | 0 | 0
3/25/2026 | 15 | 83125 | 12096 | -12655 | 8324 | 5177 | -5416 | 0.098 | 0 | 0 | 0
3/25/2026 | 16 | 86031 | 14357 | -14561 | 8265 | 6145 | -6232 | 0.095 | 0 | 0 | 0
3/25/2026 | 17 | 90419 | 15395 | -16071 | 8327 | 6589 | -6878 | 0.09 | 0 | 0 | 0
3/25/2026 | 18 | 94287 | 18103 | -18611 | 9721 | 7748 | -7965 | 0.101 | 0 | 0 | 0
3/25/2026 | 19 | 96341 | 18582 | -18951 | 11675 | 7953 | -8111 | 0.12 | 37 | 0 | 0
3/25/2026 | 20 | 95367 | 17772 | -17896 | 12314 | 7606 | -7659 | 0.129 | 227 | 0 | 0
3/25/2026 | 21 | 92313 | 17660 | -17140 | 12099 | 7558 | -7336 | 0.133 | 81 | 0 | 0
3/25/2026 | 22 | 88197 | 17700 | -17041 | 11789 | 7576 | -7294 | 0.136 | 1 | 0 | 0
3/25/2026 | 23 | 83180 | 16796 | -16613 | 11960 | 7189 | -7110 | 0.144 | 0 | 0 | 0
3/25/2026 | 24 | 77318 | 17936 | -17489 | 11480 | 7676 | -7485 | 0.15 | 35 | 0 | 0
3/26/2026 | 1 | 73704 | 17214 | -16512 | 11329 | 7368 | -7067 | 0.156 | 739 | 0 | 0
3/26/2026 | 2 | 71617 | 16697 | -16004 | 11038 | 7146 | -6850 | 0.157 | 747 | 0 | 0
3/26/2026 | 3 | 69882 | 16603 | -16203 | 10365 | 7106 | -6935 | 0.15 | 789 | 0 | 0
3/26/2026 | 4 | 69643 | 16339 | -15971 | 10443 | 6993 | -6836 | 0.151 | 932 | 61 | 0.065
3/26/2026 | 5 | 71516 | 15851 | -15659 | 10528 | 6784 | -6702 | 0.148 | 1002 | 30 | 0.03
3/26/2026 | 6 | 75790 | 14216 | -14202 | 11235 | 6085 | -6078 | 0.148 | 873 | 1 | 0.001
3/26/2026 | 7 | 81944 | 12305 | -12552 | 11955 | 5267 | -5372 | 0.145 | 593 | 0 | 0
3/26/2026 | 8 | 85117 | 11411 | -12048 | 11054 | 4884 | -5157 | 0.128 | 800 | 4 | 0.005
3/26/2026 | 9 | 84052 | 10182 | -10906 | 9044 | 4358 | -4667 | 0.105 | 80 | 1 | 0.013
3/26/2026 | 10 | 81065 | 9666 | -10302 | 8247 | 4137 | -4410 | 0.099 | 0 | 0 | 0
3/26/2026 | 11 | 78207 | 9482 | -10207 | 7916 | 4058 | -4369 | 0.098 | 0 | 0 | 0
3/26/2026 | 12 | 77260 | 9695 | -10270 | 7647 | 4150 | -4396 | 0.097 | 0 | 0 | 0
3/26/2026 | 13 | 77096 | 9985 | -10569 | 7541 | 4274 | -4524 | 0.095 | 0 | 0 | 0
3/26/2026 | 14 | 77983 | 10113 | -10630 | 7612 | 4328 | -4550 | 0.095 | 0 | 0 | 0
3/26/2026 | 15 | 80414 | 10450 | -10988 | 7825 | 4473 | -4703 | 0.095 | 0 | 0 | 0
3/26/2026 | 16 | 83703 | 11308 | -11764 | 8231 | 4840 | -5035 | 0.097 | 0 | 0 | 0
3/26/2026 | 17 | 87460 | 13171 | -13607 | 8581 | 5637 | -5824 | 0.096 | 0 | 0 | 0
3/26/2026 | 18 | 91657 | 15243 | -15606 | 10543 | 6524 | -6680 | 0.114 | 62 | 0 | 0
3/26/2026 | 19 | 93710 | 17000 | -16784 | 13214 | 7276 | -7183 | 0.142 | 831 | 2 | 0.002
3/26/2026 | 20 | 92580 | 16377 | -15819 | 14330 | 7009 | -6771 | 0.156 | 1007 | 115 | 0.114
3/26/2026 | 21 | 89595 | 15802 | -14967 | 14698 | 6763 | -6406 | 0.166 | 740 | 0 | 0
3/26/2026 | 22 | 86315 | 14928 | -14011 | 15228 | 6389 | -5996 | 0.179 | 603 | 1 | 0.002
3/26/2026 | 23 | 80842 | 15005 | -13697 | 15380 | 6422 | -5862 | 0.194 | 908 | 2 | 0.002
3/26/2026 | 24 | 75783 | 15393 | -13866 | 15344 | 6588 | -5935 | 0.207 | 867 | 73 | 0.084
3/27/2026 | 1 | 72668 | 15374 | -14005 | 14656 | 6580 | -5994 | 0.206 | 1312 | 122 | 0.093
3/27/2026 | 2 | 70465 | 14583 | -13356 | 14250 | 6242 | -5717 | 0.206 | 659 | 0 | 0
3/27/2026 | 3 | 69356 | 14464 | -13403 | 14087 | 6191 | -5736 | 0.207 | 431 | 0 | 0
3/27/2026 | 4 | 69440 | 14431 | -13742 | 14578 | 6177 | -5882 | 0.212 | 548 | 0 | 0
3/27/2026 | 5 | 70734 | 14058 | -13306 | 14550 | 6017 | -5695 | 0.208 | 766 | 0 | 0
3/27/2026 | 6 | 74763 | 13458 | -12797 | 15248 | 5760 | -5477 | 0.206 | 457 | 0 | 0
3/27/2026 | 7 | 80318 | 12224 | -11840 | 15442 | 5232 | -5067 | 0.193 | 888 | 0 | 0
3/27/2026 | 8 | 83110 | 11389 | -11451 | 13798 | 4874 | -4901 | 0.166 | 821 | 5 | 0.006
3/27/2026 | 9 | 81799 | 10052 | -10326 | 10084 | 4302 | -4420 | 0.122 | 2 | 0 | 0
3/27/2026 | 10 | 78613 | 10241 | -10129 | 8178 | 4383 | -4335 | 0.104 | 0 | 0 | 0
3/27/2026 | 11 | 76354 | 10380 | -10260 | 7844 | 4442 | -4392 | 0.103 | 0 | 0 | 0
3/27/2026 | 12 | 74744 | 10948 | -10908 | 7622 | 4686 | -4669 | 0.102 | 0 | 0 | 0
3/27/2026 | 13 | 74680 | 11229 | -11164 | 7679 | 4806 | -4778 | 0.103 | 0 | 0 | 0
3/27/2026 | 14 | 75290 | 11636 | -11224 | 7699 | 4980 | -4804 | 0.104 | 0 | 0 | 0
3/27/2026 | 15 | 77702 | 11606 | -11228 | 7822 | 4968 | -4806 | 0.102 | 0 | 0 | 0
3/27/2026 | 16 | 80872 | 12389 | -12016 | 8277 | 5302 | -5143 | 0.104 | 0 | 0 | 0
3/27/2026 | 17 | 83881 | 13919 | -13266 | 8842 | 5957 | -5678 | 0.108 | 0 | 0 | 0
3/27/2026 | 18 | 87962 | 15080 | -14759 | 11069 | 6454 | -6317 | 0.127 | 0 | 0 | 0
3/27/2026 | 19 | 90552 | 16881 | -16197 | 13570 | 7225 | -6932 | 0.152 | 770 | 0 | 0
3/27/2026 | 20 | 89660 | 17195 | -16246 | 14363 | 7360 | -6953 | 0.163 | 1241 | 0 | 0
3/27/2026 | 21 | 86786 | 16944 | -15856 | 14374 | 7252 | -6786 | 0.169 | 1104 | 0 | 0
3/27/2026 | 22 | 83605 | 15207 | -14113 | 13796 | 6509 | -6040 | 0.168 | 521 | 0 | 0
3/27/2026 | 23 | 79025 | 15231 | -13892 | 13622 | 6519 | -5946 | 0.177 | 432 | 0 | 0
3/27/2026 | 24 | 74469 | 14664 | -13239 | 13494 | 6276 | -5666 | 0.186 | 533 | 0 | 0
3/28/2026 | 1 | 70983 | 14705 | -13058 | 12759 | 6294 | -5589 | 0.185 | 959 | 39 | 0.041
3/28/2026 | 2 | 68228 | 14575 | -12989 | 12376 | 6238 | -5559 | 0.187 | 1122 | 6 | 0.005
3/28/2026 | 3 | 66466 | 14772 | -13118 | 12303 | 6322 | -5614 | 0.191 | 1128 | 0 | 0
3/28/2026 | 4 | 65582 | 14786 | -13175 | 11920 | 6328 | -5639 | 0.188 | 979 | 0 | 0
3/28/2026 | 5 | 65982 | 14814 | -13209 | 11952 | 6340 | -5654 | 0.187 | 1015 | 0 | 0
3/28/2026 | 6 | 67708 | 14753 | -13222 | 11595 | 6314 | -5659 | 0.177 | 845 | 0 | 0
3/28/2026 | 7 | 70455 | 13445 | -12248 | 11485 | 5754 | -5242 | 0.167 | 622 | 0 | 0
3/28/2026 | 8 | 71511 | 12385 | -11532 | 10337 | 5301 | -4936 | 0.148 | 167 | 0 | 0
3/28/2026 | 9 | 72392 | 9831 | -9537 | 7181 | 4208 | -4082 | 0.101 | 0 | 0 | 0
3/28/2026 | 10 | 71682 | 9168 | -8940 | 6654 | 3924 | -3826 | 0.094 | 0 | 0 | 0
3/28/2026 | 11 | 69303 | 9415 | -9202 | 6550 | 4030 | -3938 | 0.096 | 0 | 0 | 0
3/28/2026 | 12 | 67992 | 9778 | -9936 | 6558 | 4185 | -4253 | 0.096 | 0 | 0 | 0
3/28/2026 | 13 | 67642 | 10009 | -10651 | 6501 | 4284 | -4559 | 0.093 | 0 | 0 | 0
3/28/2026 | 14 | 68373 | 11092 | -11603 | 6532 | 4747 | -4966 | 0.093 | 0 | 0 | 0
3/28/2026 | 15 | 71388 | 11459 | -12061 | 6674 | 4904 | -5162 | 0.091 | 0 | 0 | 0
3/28/2026 | 16 | 75410 | 11991 | -12949 | 7270 | 5132 | -5542 | 0.092 | 0 | 0 | 0
3/28/2026 | 17 | 79998 | 13332 | -14035 | 7618 | 5706 | -6007 | 0.092 | 0 | 0 | 0
3/28/2026 | 18 | 83709 | 13871 | -14375 | 9508 | 5937 | -6153 | 0.112 | 0 | 0 | 0
3/28/2026 | 19 | 86045 | 15450 | -15494 | 11608 | 6613 | -6632 | 0.135 | 0 | 0 | 0
3/28/2026 | 20 | 86231 | 15766 | -15874 | 12290 | 6748 | -6794 | 0.142 | 0 | 0 | 0
3/28/2026 | 21 | 84019 | 15116 | -15022 | 11782 | 6470 | -6430 | 0.141 | 0 | 0 | 0
3/28/2026 | 22 | 80853 | 14614 | -14120 | 11566 | 6255 | -6043 | 0.145 | 0 | 0 | 0
3/28/2026 | 23 | 76451 | 14344 | -13518 | 11667 | 6139 | -5786 | 0.156 | 0 | 0 | 0
3/28/2026 | 24 | 72224 | 14347 | -13730 | 11754 | 6141 | -5876 | 0.165 | 0 | 0 | 0
3/29/2026 | 1 | 69738 | 13518 | -12747 | 11497 | 5786 | -5456 | 0.168 | 0 | 0 | 0
3/29/2026 | 2 | 67210 | 13518 | -12765 | 11057 | 5786 | -5463 | 0.167 | 0 | 0 | 0
3/29/2026 | 3 | 65583 | 13760 | -13178 | 10669 | 5889 | -5640 | 0.165 | 62 | 0 | 0
3/29/2026 | 4 | 64732 | 13713 | -13196 | 10408 | 5869 | -5648 | 0.163 | 410 | 0 | 0
3/29/2026 | 5 | 64648 | 13698 | -13062 | 10466 | 5863 | -5591 | 0.164 | 333 | 0 | 0
3/29/2026 | 6 | 65407 | 13588 | -12754 | 10370 | 5816 | -5459 | 0.162 | 22 | 0 | 0
3/29/2026 | 7 | 67727 | 13991 | -13501 | 10525 | 5988 | -5778 | 0.157 | 183 | 9 | 0.049
3/29/2026 | 8 | 68892 | 14132 | -13679 | 9194 | 6049 | -5855 | 0.135 | 0 | 0 | 0
3/29/2026 | 9 | 70422 | 10742 | -11125 | 7306 | 4597 | -4761 | 0.102 | 0 | 0 | 0
3/29/2026 | 10 | 69632 | 10561 | -10874 | 6752 | 4520 | -4654 | 0.095 | 0 | 0 | 0
3/29/2026 | 11 | 69081 | 9804 | -10260 | 6619 | 4196 | -4391 | 0.094 | 0 | 0 | 0
3/29/2026 | 12 | 69140 | 9756 | -10298 | 6681 | 4176 | -4408 | 0.094 | 0 | 0 | 0
3/29/2026 | 13 | 71385 | 9696 | -10568 | 6701 | 4150 | -4523 | 0.09 | 0 | 0 | 0
3/29/2026 | 14 | 74636 | 10265 | -11304 | 6832 | 4394 | -4838 | 0.087 | 0 | 0 | 0
3/29/2026 | 15 | 77334 | 10385 | -11555 | 7142 | 4445 | -4946 | 0.087 | 0 | 0 | 0
3/29/2026 | 16 | 81009 | 11548 | -12974 | 7683 | 4943 | -5553 | 0.089 | 0 | 0 | 0
3/29/2026 | 17 | 86343 | 12556 | -13791 | 8301 | 5374 | -5902 | 0.091 | 0 | 0 | 0
3/29/2026 | 18 | 90887 | 14213 | -15053 | 10575 | 6083 | -6442 | 0.113 | 0 | 0 | 0
3/29/2026 | 19 | 91613 | 16118 | -16894 | 12851 | 6899 | -7230 | 0.138 | 0 | 0 | 0
3/29/2026 | 20 | 90835 | 15675 | -16000 | 13362 | 6709 | -6848 | 0.146 | 0 | 0 | 0
3/29/2026 | 21 | 89002 | 16064 | -15751 | 12981 | 6876 | -6742 | 0.147 | 1255 | 154 | 0.123
3/29/2026 | 22 | 84508 | 15546 | -14558 | 12924 | 6654 | -6231 | 0.156 | 1333 | 148 | 0.111
3/29/2026 | 23 | 79377 | 15589 | -14078 | 12506 | 6672 | -6025 | 0.163 | 1479 | 162 | 0.11
3/29/2026 | 24 | 74231 | 15476 | -13763 | 12184 | 6624 | -5891 | 0.17 | 1518 | 217 | 0.143
3/30/2026 | 1 | 71256 | 15153 | -13421 | 12075 | 6485 | -5744 | 0.176 | 1615 | 258 | 0.16
3/30/2026 | 2 | 68774 | 14444 | -12842 | 11721 | 6182 | -5496 | 0.176 | 1832 | 246 | 0.134
3/30/2026 | 3 | 67343 | 14732 | -12929 | 11856 | 6305 | -5534 | 0.183 | 1952 | 322 | 0.165
3/30/2026 | 4 | 66946 | 14262 | -12617 | 11895 | 6104 | -5400 | 0.184 | 1730 | 412 | 0.238
3/30/2026 | 5 | 68767 | 14398 | -13098 | 11985 | 6162 | -5606 | 0.179 | 1566 | 340 | 0.217
3/30/2026 | 6 | 73582 | 14188 | -13136 | 13449 | 6072 | -5622 | 0.186 | 1731 | 320 | 0.185
3/30/2026 | 7 | 79539 | 13498 | -12674 | 14386 | 5777 | -5424 | 0.183 | 1140 | 235 | 0.206
3/30/2026 | 8 | 82434 | 13190 | -12251 | 13304 | 5646 | -5243 | 0.164 | 1376 | 342 | 0.249
3/30/2026 | 9 | 82137 | 11804 | -11219 | 11443 | 5052 | -4802 | 0.141 | 698 | 93 | 0.133
3/30/2026 | 10 | 80836 | 11070 | -10580 | 9680 | 4738 | -4528 | 0.122 | 39 | 8 | 0.205
3/30/2026 | 11 | 79792 | 10525 | -9978 | 9303 | 4505 | -4271 | 0.119 | 0 | 0 | 0
3/30/2026 | 12 | 78572 | 10711 | -10209 | 8587 | 4584 | -4369 | 0.111 | 0 | 0 | 0
3/30/2026 | 13 | 80090 | 11514 | -11196 | 9067 | 4928 | -4792 | 0.114 | 404 | 71 | 0.176
3/30/2026 | 14 | 81945 | 12388 | -12258 | 9431 | 5302 | -5246 | 0.116 | 700 | 149 | 0.213
3/30/2026 | 15 | 83189 | 12501 | -12386 | 9324 | 5350 | -5301 | 0.113 | 968 | 114 | 0.118
3/30/2026 | 16 | 85979 | 13227 | -13310 | 10014 | 5661 | -5697 | 0.116 | 1417 | 380 | 0.268
3/30/2026 | 17 | 88598 | 15043 | -14988 | 10952 | 6439 | -6415 | 0.124 | 1117 | 235 | 0.21
3/30/2026 | 18 | 91525 | 14220 | -14392 | 13041 | 6086 | -6160 | 0.142 | 1460 | 231 | 0.158
3/30/2026 | 19 | 90237 | 15365 | -15501 | 14492 | 6576 | -6634 | 0.16 | 1296 | 201 | 0.155
3/30/2026 | 20 | 90968 | 14937 | -15046 | 15021 | 6393 | -6440 | 0.165 | 850 | 179 | 0.211
3/30/2026 | 21 | 90203 | 14611 | -14381 | 14870 | 6253 | -6156 | 0.166 | 949 | 172 | 0.181
3/30/2026 | 22 | 86109 | 14349 | -13667 | 14799 | 6141 | -5850 | 0.174 | 1319 | 260 | 0.197
3/30/2026 | 23 | 81436 | 13769 | -13036 | 14629 | 5893 | -5580 | 0.182 | 1675 | 271 | 0.162
3/30/2026 | 24 | 76111 | 13969 | -13004 | 14732 | 5979 | -5566 | 0.196 | 1328 | 246 | 0.185
3/31/2026 | 1 | 72781 | 15141 | -13480 | 14026 | 6480 | -5769 | 0.198 | 890 | 116 | 0.13
3/31/2026 | 2 | 70304 | 14925 | -13220 | 13817 | 6388 | -5659 | 0.202 | 1027 | 170 | 0.166
3/31/2026 | 3 | 68857 | 14487 | -12683 | 13946 | 6201 | -5428 | 0.208 | 1080 | 165 | 0.153
3/31/2026 | 4 | 68317 | 14604 | -12607 | 14000 | 6250 | -5396 | 0.211 | 446 | 0 | 0
3/31/2026 | 5 | 69816 | 14563 | -12507 | 14458 | 6233 | -5353 | 0.213 | 62 | 0 | 0
3/31/2026 | 6 | 74148 | 13718 | -11686 | 14892 | 5871 | -5002 | 0.207 | 0 | 0 | 0
3/31/2026 | 7 | 79759 | 12208 | -10473 | 15340 | 5225 | -4482 | 0.197 | 216 | 0 | 0
3/31/2026 | 8 | 83170 | 12416 | -10665 | 15642 | 5314 | -4564 | 0.193 | 550 | 0 | 0
3/31/2026 | 9 | 84071 | 11873 | -10294 | 17224 | 5082 | -4406 | 0.209 | 950 | 80 | 0.084
3/31/2026 | 10 | 83694 | 11543 | -9943 | 17459 | 4940 | -4255 | 0.213 | 856 | 278 | 0.325
3/31/2026 | 11 | 81725 | 13044 | -10778 | 16257 | 5583 | -4613 | 0.205 | 671 | 78 | 0.116
3/31/2026 | 12 | 81354 | 12856 | -10901 | 15052 | 5503 | -4666 | 0.191 | 594 | 44 | 0.074
3/31/2026 | 13 | 80626 | 13123 | -11316 | 14492 | 5617 | -4844 | 0.185 | 998 | 213 | 0.213
3/31/2026 | 14 | 81233 | 13504 | -11781 | 14374 | 5780 | -5042 | 0.182 | 602 | 53 | 0.088
3/31/2026 | 15 | 82276 | 13348 | -11897 | 14389 | 5713 | -5092 | 0.179 | 976 | 80 | 0.082
3/31/2026 | 16 | 83078 | 14258 | -12516 | 14381 | 6103 | -5357 | 0.178 | 811 | 73 | 0.09
3/31/2026 | 17 | 84710 | 14338 | -12772 | 15222 | 6137 | -5466 | 0.184 | 1114 | 105 | 0.094
3/31/2026 | 18 | 85786 | 15561 | -14170 | 16163 | 6660 | -6065 | 0.192 | 1457 | 201 | 0.138
3/31/2026 | 19 | 85089 | 16778 | -14898 | 16425 | 7181 | -6376 | 0.198 | 1050 | 208 | 0.198
3/31/2026 | 20 | 85625 | 16741 | -14573 | 16680 | 7165 | -6237 | 0.201 | 1218 | 228 | 0.187
3/31/2026 | 21 | 84323 | 16929 | -14697 | 16615 | 7246 | -6290 | 0.203 | 1049 | 167 | 0.159
3/31/2026 | 22 | 81640 | 16470 | -14188 | 16122 | 7049 | -6072 | 0.204 | 1524 | 292 | 0.192
3/31/2026 | 23 | 77124 | 14729 | -12888 | 15765 | 6304 | -5516 | 0.21 | 1386 | 345 | 0.249
3/31/2026 | 24 | 72616 | 15146 | -13134 | 14974 | 6482 | -5621 | 0.212 | 1102 | 198 | 0.18