## KEY
Average Emissions Rate Calculation
Background:
The CAISO is publishing this metric of an average emissions rate (AER) based on the discussion in the GHG working groups. CAISO discussed the metric at the November 27, 2023 GHG Coordination Working Group. A brief explanation of the methodology is included below:
Methodology:
1) Which resources are reflected in this example AER metric (all schedules are from the 5-minute market)
- All supply resources are included
- All demand response resources are excluded
- All energy storage resources are included (emissions rate used is 0 MTCO2e/MWh)
- Resources that were attributed to serve California are included
2) The AER measures all schedules ie. The total dispatach of the resources and not relative to WEIM base schedule
3) Bilateral transactions are included (emissions rate used is 0.428 MTCO2e/MWh) unless they are resource specific.
4) CAISO filled in missing heat rate and emissions rate data by using wtd averages from existing data
Key
TRADE_DT | Trade date of the reported data in MM/DD/YYYY format
TRADE_HR | Trade hour of the reported data. Data is reported as the "hour-ending", e.g. TRADE_HR = 2 is for the hour-ending 1:59:59AM Pacific time
GEN_MWH | MWh of electricity generation in the WEIM area* (including CAISO)
IMP_MWH | MWh of electricity imports into the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
EXP_MWH | MWh of electricity exports from the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
GEN_GHG | Greenhouse gas emissions in MTCO2e of electricity generation in the WEIM area
IMP_GHG | Greenhouse gas emissions in MTCO2e of electricity imports into the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
EXP_GHG | Greenhouse gas emissions in MTCO2e of electricity exports from the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
AVG_EM_RATE | Average emissions rate calculated as columns G through I divided by columns C through E
ATTR_MWH | MWh of WEIM transfers into California which, by definition, is equal to the sum of the GHG attributions
ATTR_GHG | Greenhouse gas emissions in MTCO2e of WEIM transfers into California (resource-specific)
ATTR_AVG_EM_RATE | Average emissions rate of WEIM transfers into California
CAISO PUBLIC

## AER_SUMMARY
TRADE_DT | TRADE_HR | GEN_MWH | IMP_MWH | EXP_MWH | GEN_GHG | IMP_GHG | EXP_GHG | AVG_EM_RATE | ATTR_MWH | ATTR_GHG | ATTR_AVG_EM_RATE
5/1/2024 | 1 | 66301 | 10297 | -9259 | 15600 | 4407 | -3963 | 0.23826 | 474 | 64 | 0.13502
5/1/2024 | 2 | 63996 | 10071 | -9108 | 14815 | 4310 | -3898 | 0.23441 | 619 | 114 | 0.18417
5/1/2024 | 3 | 63358 | 9605 | -8680 | 14347 | 4111 | -3715 | 0.22935 | 393 | 0 | 0
5/1/2024 | 4 | 63275 | 9453 | -8478 | 14468 | 4046 | -3628 | 0.23169 | 206 | 0 | 0
5/1/2024 | 5 | 65029 | 9642 | -8651 | 14568 | 4127 | -3703 | 0.22708 | 350 | 3 | 0.0085714
5/1/2024 | 6 | 69190 | 9923 | -8882 | 15036 | 4247 | -3802 | 0.22043 | 473 | 12 | 0.02537
5/1/2024 | 7 | 73014 | 10736 | -9174 | 14262 | 4595 | -3927 | 0.2002 | 1164 | 298 | 0.25601
5/1/2024 | 8 | 75022 | 11758 | -10752 | 10920 | 5032 | -4602 | 0.14929 | 59 | 0 | 0
5/1/2024 | 9 | 74089 | 11970 | -11599 | 8548 | 5123 | -4965 | 0.11692 | 0 | 0 | 0
5/1/2024 | 10 | 72271 | 12254 | -11811 | 8489 | 5245 | -5055 | 0.11936 | 0 | 0 | 0
5/1/2024 | 11 | 70305 | 12531 | -12284 | 8138 | 5363 | -5257 | 0.11685 | 0 | 0 | 0
5/1/2024 | 12 | 68973 | 12760 | -12896 | 8089 | 5461 | -5520 | 0.11665 | 0 | 0 | 0
5/1/2024 | 13 | 68833 | 12760 | -12977 | 8267 | 5461 | -5554 | 0.11913 | 0 | 0 | 0
5/1/2024 | 14 | 69321 | 13395 | -13637 | 8325 | 5733 | -5837 | 0.11901 | 0 | 0 | 0
5/1/2024 | 15 | 70711 | 13114 | -13363 | 8236 | 5613 | -5720 | 0.11537 | 0 | 0 | 0
5/1/2024 | 16 | 72322 | 13510 | -13705 | 8563 | 5782 | -5866 | 0.11756 | 0 | 0 | 0
5/1/2024 | 17 | 74784 | 13601 | -13748 | 9670 | 5821 | -5884 | 0.12872 | 0 | 0 | 0
5/1/2024 | 18 | 77918 | 13553 | -13033 | 11229 | 5801 | -5578 | 0.146 | 0 | 0 | 0
5/1/2024 | 19 | 79121 | 12786 | -11369 | 14358 | 5472 | -4866 | 0.1858 | 26 | 0 | 0
5/1/2024 | 20 | 80135 | 13380 | -11714 | 16309 | 5727 | -5014 | 0.20809 | 0 | 0 | 0
5/1/2024 | 21 | 80576 | 13824 | -11996 | 16538 | 5917 | -5134 | 0.2102 | 268 | 0 | 0
5/1/2024 | 22 | 77921 | 13186 | -11391 | 15981 | 5643 | -4876 | 0.2101 | 270 | 0 | 0
5/1/2024 | 23 | 73154 | 11392 | -9577 | 16129 | 4876 | -4099 | 0.22551 | 0 | 0 | 0
5/1/2024 | 24 | 68191 | 11014 | -9143 | 15812 | 4714 | -3913 | 0.23712 | 225 | 1 | 0.0044444
5/2/2024 | 1 | 65558 | 11509 | -9721 | 15618 | 4926 | -4161 | 0.24327 | 324 | 0 | 0
5/2/2024 | 2 | 62860 | 11885 | -10093 | 15140 | 5087 | -4320 | 0.24604 | 328 | 0 | 0
5/2/2024 | 3 | 61097 | 11847 | -9973 | 14756 | 5071 | -4268 | 0.24708 | 317 | 0 | 0
5/2/2024 | 4 | 60965 | 12017 | -10004 | 14646 | 5143 | -4282 | 0.24623 | 147 | 0 | 0
5/2/2024 | 5 | 62949 | 12054 | -10046 | 14805 | 5159 | -4300 | 0.24114 | 0 | 0 | 0
5/2/2024 | 6 | 67232 | 12117 | -9834 | 15426 | 5186 | -4209 | 0.23596 | 54 | 0 | 0
5/2/2024 | 7 | 71981 | 13239 | -10755 | 14999 | 5666 | -4603 | 0.2157 | 1311 | 383 | 0.29214
5/2/2024 | 8 | 74342 | 12950 | -11081 | 11640 | 5543 | -4742 | 0.16324 | 634 | 188 | 0.29653
5/2/2024 | 9 | 73346 | 12560 | -11202 | 9529 | 5376 | -4794 | 0.13535 | 0 | 0 | 0
5/2/2024 | 10 | 72747 | 11990 | -11221 | 9510 | 5132 | -4803 | 0.13383 | 0 | 0 | 0
5/2/2024 | 11 | 70916 | 12718 | -12172 | 9170 | 5444 | -5210 | 0.13159 | 18 | 0 | 0
5/2/2024 | 12 | 69193 | 13126 | -11823 | 9114 | 5618 | -5060 | 0.1372 | 141 | 0 | 0
5/2/2024 | 13 | 68728 | 12942 | -11727 | 9015 | 5539 | -5019 | 0.13633 | 0 | 0 | 0
5/2/2024 | 14 | 69295 | 13142 | -12061 | 9206 | 5625 | -5162 | 0.13739 | 0 | 0 | 0
5/2/2024 | 15 | 70187 | 12667 | -11813 | 9857 | 5422 | -5056 | 0.1439 | 0 | 0 | 0
5/2/2024 | 16 | 71835 | 12745 | -11865 | 10113 | 5455 | -5078 | 0.14426 | 0 | 0 | 0
5/2/2024 | 17 | 74092 | 14486 | -13222 | 10737 | 6200 | -5659 | 0.14966 | 0 | 0 | 0
5/2/2024 | 18 | 77409 | 13992 | -12581 | 12206 | 5989 | -5385 | 0.16252 | 0 | 0 | 0
5/2/2024 | 19 | 79516 | 13035 | -11603 | 15478 | 5579 | -4966 | 0.19878 | 277 | 19 | 0.068592
5/2/2024 | 20 | 79624 | 13686 | -12084 | 17952 | 5858 | -5172 | 0.22946 | 332 | 0 | 0
5/2/2024 | 21 | 79473 | 13672 | -12261 | 18250 | 5852 | -5248 | 0.2331 | 344 | 1 | 0.002907
5/2/2024 | 22 | 76553 | 13470 | -11677 | 17512 | 5765 | -4998 | 0.23331 | 428 | 20 | 0.046729
5/2/2024 | 23 | 71694 | 11979 | -10033 | 16929 | 5127 | -4294 | 0.2412 | 232 | 0 | 0
5/2/2024 | 24 | 67112 | 11678 | -9571 | 16179 | 4998 | -4096 | 0.24677 | 435 | 0 | 0
5/3/2024 | 1 | 64483 | 10846 | -8818 | 15793 | 4642 | -3774 | 0.2505 | 414 | 0 | 0
5/3/2024 | 2 | 62246 | 10698 | -8655 | 14993 | 4579 | -3704 | 0.24682 | 493 | 0 | 0
5/3/2024 | 3 | 61170 | 10524 | -8554 | 14665 | 4504 | -3661 | 0.24561 | 567 | 0 | 0
5/3/2024 | 4 | 61130 | 10447 | -8569 | 14797 | 4471 | -3668 | 0.24759 | 527 | 0 | 0
5/3/2024 | 5 | 62776 | 10493 | -8718 | 15342 | 4491 | -3732 | 0.24943 | 396 | 0 | 0
5/3/2024 | 6 | 66506 | 10995 | -8925 | 15848 | 4706 | -3820 | 0.24402 | 455 | 0 | 0
5/3/2024 | 7 | 70408 | 11834 | -9587 | 15240 | 5065 | -4103 | 0.223 | 725 | 104 | 0.14345
5/3/2024 | 8 | 72492 | 10609 | -8940 | 11580 | 4541 | -3826 | 0.16579 | 84 | 0 | 0
5/3/2024 | 9 | 73699 | 11158 | -10370 | 9559 | 4776 | -4438 | 0.13287 | 0 | 0 | 0
5/3/2024 | 10 | 72687 | 10858 | -10305 | 9178 | 4647 | -4411 | 0.12854 | 0 | 0 | 0
5/3/2024 | 11 | 71079 | 11299 | -10595 | 9234 | 4836 | -4534 | 0.13284 | 0 | 0 | 0
5/3/2024 | 12 | 70247 | 11158 | -10579 | 9357 | 4776 | -4528 | 0.13561 | 0 | 0 | 0
5/3/2024 | 13 | 69506 | 11078 | -10656 | 9426 | 4741 | -4561 | 0.13737 | 0 | 0 | 0
5/3/2024 | 14 | 70085 | 11157 | -10944 | 9621 | 4775 | -4684 | 0.13815 | 0 | 0 | 0
5/3/2024 | 15 | 70685 | 11478 | -11478 | 9801 | 4912 | -4913 | 0.13864 | 0 | 0 | 0
5/3/2024 | 16 | 72231 | 11646 | -11512 | 9834 | 4985 | -4927 | 0.1367 | 0 | 0 | 0
5/3/2024 | 17 | 75008 | 12644 | -12445 | 10226 | 5412 | -5326 | 0.13711 | 0 | 0 | 0
5/3/2024 | 18 | 76682 | 12986 | -11924 | 11737 | 5558 | -5103 | 0.15682 | 0 | 0 | 0
5/3/2024 | 19 | 78430 | 12646 | -11389 | 14581 | 5413 | -4875 | 0.18973 | 14 | 0 | 0
5/3/2024 | 20 | 78329 | 13542 | -12001 | 16912 | 5796 | -5137 | 0.21999 | 0 | 0 | 0
5/3/2024 | 21 | 77912 | 13609 | -11888 | 17432 | 5825 | -5088 | 0.22816 | 270 | 0 | 0
5/3/2024 | 22 | 74858 | 13220 | -11499 | 16350 | 5658 | -4921 | 0.22313 | 148 | 0 | 0
5/3/2024 | 23 | 70795 | 11635 | -9629 | 15946 | 4980 | -4121 | 0.23083 | 4 | 0 | 0
5/3/2024 | 24 | 66411 | 11422 | -9290 | 15696 | 4889 | -3976 | 0.24232 | 245 | 0 | 0
5/4/2024 | 1 | 63230 | 10822 | -8811 | 14719 | 4632 | -3771 | 0.23881 | 338 | 0 | 0
5/4/2024 | 2 | 60611 | 10936 | -8749 | 14296 | 4681 | -3744 | 0.24257 | 137 | 0 | 0
5/4/2024 | 3 | 58810 | 10756 | -8600 | 14134 | 4603 | -3681 | 0.24696 | 3 | 0 | 0
5/4/2024 | 4 | 58100 | 10676 | -8429 | 13601 | 4569 | -3608 | 0.2413 | 166 | 0 | 0
5/4/2024 | 5 | 58650 | 11084 | -9195 | 13348 | 4744 | -3936 | 0.23383 | 124 | 0 | 0
5/4/2024 | 6 | 60084 | 11097 | -9381 | 13575 | 4750 | -4015 | 0.23155 | 189 | 0 | 0
5/4/2024 | 7 | 61873 | 10929 | -9679 | 12356 | 4678 | -4143 | 0.20422 | 330 | 0 | 0
5/4/2024 | 8 | 64397 | 11255 | -10072 | 9628 | 4817 | -4311 | 0.15453 | 48 | 0 | 0
5/4/2024 | 9 | 66954 | 11971 | -11387 | 8514 | 5124 | -4874 | 0.12976 | 0 | 0 | 0
5/4/2024 | 10 | 68964 | 12121 | -11666 | 8596 | 5188 | -4993 | 0.12664 | 0 | 0 | 0
5/4/2024 | 11 | 70263 | 11991 | -11600 | 8697 | 5132 | -4965 | 0.12546 | 52 | 0 | 0
5/4/2024 | 12 | 71399 | 11805 | -11611 | 9283 | 5053 | -4969 | 0.13084 | 110 | 0 | 0
5/4/2024 | 13 | 72149 | 11763 | -11568 | 10092 | 5035 | -4951 | 0.14066 | 203 | 0 | 0
5/4/2024 | 14 | 71957 | 12174 | -11785 | 10386 | 5211 | -5044 | 0.14587 | 191 | 0 | 0
5/4/2024 | 15 | 71838 | 12363 | -11576 | 11029 | 5292 | -4954 | 0.15652 | 494 | 4 | 0.0080972
5/4/2024 | 16 | 72532 | 12590 | -11717 | 11950 | 5389 | -5015 | 0.16789 | 94 | 0 | 0
5/4/2024 | 17 | 73088 | 13764 | -12582 | 12618 | 5891 | -5385 | 0.17671 | 0 | 0 | 0
5/4/2024 | 18 | 73917 | 13600 | -11929 | 13564 | 5821 | -5106 | 0.18891 | 0 | 0 | 0
5/4/2024 | 19 | 74222 | 14204 | -12392 | 14817 | 6079 | -5304 | 0.20507 | 55 | 0 | 0
5/4/2024 | 20 | 74089 | 14783 | -12862 | 14668 | 6327 | -5505 | 0.20379 | 0 | 0 | 0
5/4/2024 | 21 | 73950 | 15056 | -13125 | 14231 | 6444 | -5617 | 0.19844 | 227 | 2 | 0.0088106
5/4/2024 | 22 | 71495 | 14646 | -12446 | 13620 | 6269 | -5327 | 0.1976 | 423 | 50 | 0.1182
5/4/2024 | 23 | 68888 | 11930 | -10116 | 14074 | 5106 | -4329 | 0.21005 | 662 | 63 | 0.095166
5/4/2024 | 24 | 64821 | 12327 | -10304 | 13583 | 5276 | -4410 | 0.21616 | 615 | 41 | 0.066667
5/5/2024 | 1 | 62101 | 11978 | -10008 | 12469 | 5127 | -4284 | 0.20777 | 307 | 1 | 0.0032573
5/5/2024 | 2 | 60429 | 12014 | -10109 | 12105 | 5142 | -4327 | 0.20727 | 317 | 2 | 0.0063091
5/5/2024 | 3 | 58886 | 11914 | -10025 | 11402 | 5099 | -4291 | 0.2009 | 299 | 0 | 0
5/5/2024 | 4 | 57932 | 12071 | -10047 | 11023 | 5166 | -4300 | 0.1983 | 143 | 0 | 0
5/5/2024 | 5 | 58295 | 12143 | -10200 | 10814 | 5197 | -4366 | 0.19332 | 253 | 0 | 0
5/5/2024 | 6 | 59507 | 12018 | -10256 | 11190 | 5144 | -4390 | 0.19494 | 256 | 0 | 0
5/5/2024 | 7 | 61172 | 10647 | -9210 | 10822 | 4557 | -3942 | 0.18267 | 387 | 19 | 0.049096
5/5/2024 | 8 | 61797 | 10093 | -9004 | 8284 | 4320 | -3854 | 0.13914 | 0 | 0 | 0
5/5/2024 | 9 | 63001 | 10556 | -10137 | 7242 | 4518 | -4339 | 0.11701 | 0 | 0 | 0
5/5/2024 | 10 | 62575 | 10461 | -10190 | 7084 | 4478 | -4361 | 0.11458 | 0 | 0 | 0
5/5/2024 | 11 | 61930 | 10518 | -10464 | 6973 | 4502 | -4479 | 0.11287 | 0 | 0 | 0
5/5/2024 | 12 | 60930 | 10722 | -10702 | 6997 | 4589 | -4581 | 0.11493 | 0 | 0 | 0
5/5/2024 | 13 | 61434 | 10992 | -11285 | 7024 | 4704 | -4830 | 0.11282 | 0 | 0 | 0
5/5/2024 | 14 | 62058 | 11971 | -12296 | 7140 | 5124 | -5262 | 0.11342 | 0 | 0 | 0
5/5/2024 | 15 | 61993 | 12175 | -12514 | 7318 | 5211 | -5356 | 0.11634 | 0 | 0 | 0
5/5/2024 | 16 | 63315 | 12113 | -12416 | 7328 | 5184 | -5314 | 0.11423 | 0 | 0 | 0
5/5/2024 | 17 | 66320 | 11738 | -11939 | 7773 | 5024 | -5110 | 0.11626 | 0 | 0 | 0
5/5/2024 | 18 | 69359 | 11362 | -10869 | 8777 | 4863 | -4652 | 0.12867 | 0 | 0 | 0
5/5/2024 | 19 | 72215 | 11538 | -10548 | 10090 | 4938 | -4515 | 0.14361 | 0 | 0 | 0
5/5/2024 | 20 | 74508 | 12451 | -11389 | 12007 | 5329 | -4875 | 0.16489 | 0 | 0 | 0
5/5/2024 | 21 | 74836 | 12598 | -11332 | 12454 | 5392 | -4850 | 0.17077 | 0 | 0 | 0
5/5/2024 | 22 | 72863 | 12145 | -11005 | 12256 | 5198 | -4710 | 0.17221 | 39 | 0 | 0
5/5/2024 | 23 | 67995 | 12749 | -11065 | 11840 | 5456 | -4736 | 0.18026 | 0 | 0 | 0
5/5/2024 | 24 | 64239 | 12349 | -11019 | 12116 | 5285 | -4716 | 0.19346 | 0 | 0 | 0
5/6/2024 | 1 | 61166 | 12513 | -10970 | 11529 | 5356 | -4695 | 0.19439 | 1 | 0 | 0
5/6/2024 | 2 | 59434 | 11881 | -10402 | 11165 | 5085 | -4452 | 0.19369 | 1 | 0 | 0
5/6/2024 | 3 | 58341 | 11492 | -9925 | 11189 | 4919 | -4248 | 0.19797 | 34 | 0 | 0
5/6/2024 | 4 | 58746 | 10641 | -9239 | 11040 | 4554 | -3954 | 0.19352 | 243 | 0 | 0
5/6/2024 | 5 | 60426 | 10974 | -9439 | 11379 | 4697 | -4040 | 0.19425 | 67 | 0 | 0
5/6/2024 | 6 | 65107 | 10983 | -9554 | 11843 | 4701 | -4089 | 0.18719 | 12 | 0 | 0
5/6/2024 | 7 | 69610 | 10932 | -9273 | 11258 | 4679 | -3969 | 0.16793 | 344 | 7 | 0.020349
5/6/2024 | 8 | 72995 | 10778 | -9691 | 9308 | 4613 | -4148 | 0.13192 | 75 | 0 | 0
5/6/2024 | 9 | 71535 | 11386 | -10406 | 7784 | 4873 | -4454 | 0.11312 | 0 | 0 | 0
5/6/2024 | 10 | 68917 | 11803 | -11109 | 7324 | 5052 | -4755 | 0.10948 | 0 | 0 | 0
5/6/2024 | 11 | 66750 | 12018 | -11375 | 7256 | 5144 | -4868 | 0.11176 | 0 | 0 | 0
5/6/2024 | 12 | 65064 | 11826 | -11530 | 7070 | 5062 | -4935 | 0.11011 | 0 | 0 | 0
5/6/2024 | 13 | 64509 | 12484 | -11939 | 6828 | 5343 | -5110 | 0.10854 | 0 | 0 | 0
5/6/2024 | 14 | 64300 | 12578 | -12077 | 6749 | 5383 | -5169 | 0.10745 | 0 | 0 | 0
5/6/2024 | 15 | 64761 | 13068 | -12305 | 6827 | 5593 | -5267 | 0.10917 | 0 | 0 | 0
5/6/2024 | 16 | 66259 | 12797 | -12161 | 7086 | 5477 | -5205 | 0.10999 | 0 | 0 | 0
5/6/2024 | 17 | 69101 | 13122 | -12438 | 7375 | 5616 | -5324 | 0.10987 | 0 | 0 | 0
5/6/2024 | 18 | 72802 | 12771 | -11555 | 8395 | 5466 | -4946 | 0.12044 | 0 | 0 | 0
5/6/2024 | 19 | 75234 | 12636 | -10606 | 10451 | 5408 | -4539 | 0.14651 | 51 | 0 | 0
5/6/2024 | 20 | 76840 | 13738 | -11845 | 12094 | 5880 | -5069 | 0.16391 | 288 | 0 | 0
5/6/2024 | 21 | 77361 | 13881 | -11933 | 12392 | 5941 | -5107 | 0.16677 | 459 | 0 | 0
5/6/2024 | 22 | 74859 | 13862 | -11637 | 12297 | 5933 | -4981 | 0.17188 | 368 | 0 | 0
5/6/2024 | 23 | 70128 | 13857 | -11813 | 11734 | 5931 | -5056 | 0.17471 | 91 | 0 | 0
5/6/2024 | 24 | 65932 | 13347 | -11746 | 11246 | 5713 | -5027 | 0.17668 | 446 | 0 | 0
5/7/2024 | 1 | 63121 | 14795 | -13291 | 10450 | 6332 | -5688 | 0.17167 | 12 | 0 | 0
5/7/2024 | 2 | 61480 | 14778 | -13344 | 10063 | 6325 | -5711 | 0.16971 | 157 | 0 | 0
5/7/2024 | 3 | 60399 | 14754 | -13332 | 9782 | 6315 | -5706 | 0.16808 | 0 | 0 | 0
5/7/2024 | 4 | 60541 | 14735 | -13337 | 9759 | 6307 | -5708 | 0.16723 | 0 | 0 | 0
5/7/2024 | 5 | 61993 | 15001 | -13450 | 9982 | 6420 | -5757 | 0.16752 | 0 | 0 | 0
5/7/2024 | 6 | 66360 | 14995 | -13134 | 10686 | 6418 | -5622 | 0.16831 | 0 | 0 | 0
5/7/2024 | 7 | 70765 | 12195 | -10221 | 10101 | 5220 | -4375 | 0.15048 | 311 | 6 | 0.019293
5/7/2024 | 8 | 73372 | 11150 | -9794 | 8300 | 4772 | -4192 | 0.11883 | 0 | 0 | 0
5/7/2024 | 9 | 71531 | 12014 | -11526 | 7672 | 5142 | -4933 | 0.10943 | 0 | 0 | 0
5/7/2024 | 10 | 69536 | 12243 | -12168 | 7591 | 5240 | -5208 | 0.10951 | 0 | 0 | 0
5/7/2024 | 11 | 67488 | 12228 | -12204 | 6870 | 5234 | -5223 | 0.10192 | 0 | 0 | 0
5/7/2024 | 12 | 66068 | 12150 | -12203 | 6834 | 5200 | -5223 | 0.10317 | 0 | 0 | 0
5/7/2024 | 13 | 65323 | 11792 | -11988 | 6866 | 5047 | -5131 | 0.10413 | 0 | 0 | 0
5/7/2024 | 14 | 65911 | 11550 | -11973 | 7021 | 4943 | -5124 | 0.10445 | 0 | 0 | 0
5/7/2024 | 15 | 66745 | 11791 | -12452 | 7206 | 5047 | -5329 | 0.10478 | 0 | 0 | 0
5/7/2024 | 17 | 71697 | 13078 | -13345 | 8119 | 5597 | -5711 | 0.11207 | 0 | 0 | 0
5/7/2024 | 18 | 74669 | 12743 | -12013 | 9498 | 5454 | -5142 | 0.13011 | 0 | 0 | 0
5/7/2024 | 19 | 76818 | 12808 | -11427 | 10920 | 5482 | -4891 | 0.1472 | 0 | 0 | 0
5/7/2024 | 20 | 78287 | 13562 | -12119 | 12925 | 5804 | -5187 | 0.16985 | 0 | 0 | 0
5/7/2024 | 21 | 78183 | 13320 | -11763 | 13290 | 5701 | -5035 | 0.17502 | 0 | 0 | 0
5/7/2024 | 22 | 75701 | 12707 | -11092 | 13427 | 5438 | -4748 | 0.18259 | 159 | 0 | 0
5/7/2024 | 23 | 70460 | 14494 | -12618 | 13101 | 6204 | -5401 | 0.19221 | 0 | 0 | 0
5/7/2024 | 24 | 66337 | 13856 | -12262 | 12674 | 5930 | -5248 | 0.19661 | 0 | 0 | 0
5/8/2024 | 1 | 63978 | 12649 | -11266 | 12134 | 5414 | -4822 | 0.1947 | 0 | 0 | 0
5/8/2024 | 2 | 62303 | 12545 | -11138 | 11930 | 5369 | -4767 | 0.1967 | 184 | 0 | 0
5/8/2024 | 3 | 61067 | 12449 | -11047 | 11620 | 5328 | -4728 | 0.19562 | 171 | 0 | 0
5/8/2024 | 4 | 60364 | 12248 | -10765 | 11579 | 5242 | -4607 | 0.19749 | 109 | 0 | 0
5/8/2024 | 5 | 62143 | 12014 | -10620 | 12217 | 5142 | -4545 | 0.20168 | 0 | 0 | 0
5/8/2024 | 6 | 66152 | 12466 | -10896 | 13566 | 5335 | -4664 | 0.21023 | 36 | 0 | 0
5/8/2024 | 7 | 71125 | 11779 | -10196 | 13666 | 5041 | -4364 | 0.19727 | 1545 | 359 | 0.23236
5/8/2024 | 8 | 73466 | 11502 | -10402 | 10628 | 4923 | -4452 | 0.14885 | 526 | 75 | 0.14259
5/8/2024 | 9 | 72281 | 11568 | -11232 | 9360 | 4951 | -4807 | 0.13088 | 0 | 0 | 0
5/8/2024 | 10 | 69970 | 12249 | -12018 | 8635 | 5243 | -5144 | 0.12441 | 0 | 0 | 0
5/8/2024 | 11 | 67684 | 12200 | -12062 | 8513 | 5222 | -5162 | 0.1264 | 2 | 0 | 0
5/8/2024 | 12 | 65541 | 12226 | -12033 | 8678 | 5233 | -5150 | 0.13328 | 0 | 0 | 0
5/8/2024 | 13 | 65051 | 13115 | -12890 | 8618 | 5613 | -5517 | 0.13349 | 0 | 0 | 0
5/8/2024 | 14 | 49410 | 10173 | -9970 | 6630 | 4354 | -4267 | 0.13539 | 0 | 0 | 0
5/8/2024 | 15 | 67416 | 13219 | -13365 | 9126 | 5658 | -5720 | 0.13474 | 0 | 0 | 0
5/8/2024 | 16 | 69434 | 13150 | -13353 | 9516 | 5628 | -5715 | 0.1362 | 0 | 0 | 0
5/8/2024 | 17 | 72427 | 13798 | -13925 | 10064 | 5905 | -5960 | 0.13844 | 0 | 0 | 0
5/8/2024 | 18 | 75732 | 12614 | -11952 | 11573 | 5399 | -5116 | 0.1552 | 0 | 0 | 0
5/8/2024 | 19 | 78068 | 11858 | -10771 | 13821 | 5075 | -4610 | 0.18048 | 308 | 1 | 0.0032468
5/8/2024 | 20 | 78401 | 12277 | -10954 | 15988 | 5255 | -4689 | 0.20764 | 223 | 0 | 0
5/8/2024 | 21 | 78274 | 12869 | -11571 | 16343 | 5508 | -4953 | 0.21236 | 570 | 39 | 0.068421
5/8/2024 | 22 | 75798 | 12675 | -11444 | 16428 | 5425 | -4898 | 0.22011 | 877 | 181 | 0.20639
5/8/2024 | 23 | 70342 | 11929 | -10321 | 16452 | 5106 | -4418 | 0.23822 | 485 | 19 | 0.039175
5/8/2024 | 24 | 65718 | 11318 | -9585 | 16631 | 4844 | -4102 | 0.25756 | 386 | 11 | 0.028497
5/9/2024 | 1 | 62905 | 10355 | -8676 | 15985 | 4432 | -3713 | 0.25864 | 446 | 24 | 0.053812
5/9/2024 | 2 | 60769 | 10546 | -8727 | 15682 | 4514 | -3735 | 0.26301 | 290 | 8 | 0.027586
5/9/2024 | 3 | 59804 | 10659 | -8959 | 15679 | 4562 | -3835 | 0.26675 | 254 | 0 | 0
5/9/2024 | 4 | 59795 | 10592 | -9051 | 15697 | 4533 | -3874 | 0.26666 | 26 | 0 | 0
5/9/2024 | 5 | 61218 | 10253 | -8878 | 15490 | 4388 | -3800 | 0.25687 | 0 | 0 | 0
5/9/2024 | 6 | 65317 | 10629 | -9255 | 15980 | 4549 | -3961 | 0.24843 | 17 | 0 | 0
5/9/2024 | 7 | 69470 | 11956 | -10318 | 15000 | 5117 | -4416 | 0.2208 | 658 | 80 | 0.12158
5/9/2024 | 8 | 71934 | 12486 | -11097 | 11312 | 5344 | -4750 | 0.16238 | 130 | 6 | 0.046154
5/9/2024 | 9 | 72031 | 12371 | -12172 | 9631 | 5295 | -5210 | 0.13451 | 0 | 0 | 0
5/9/2024 | 10 | 70833 | 12755 | -12818 | 9006 | 5459 | -5486 | 0.12688 | 0 | 0 | 0
5/9/2024 | 11 | 69271 | 12886 | -13029 | 8612 | 5515 | -5577 | 0.12368 | 0 | 0 | 0
5/9/2024 | 12 | 67858 | 12937 | -13150 | 8432 | 5537 | -5628 | 0.12331 | 0 | 0 | 0
5/9/2024 | 13 | 66992 | 12711 | -12870 | 8238 | 5440 | -5508 | 0.12224 | 0 | 0 | 0
5/9/2024 | 14 | 68240 | 12808 | -12991 | 8463 | 5482 | -5560 | 0.12321 | 0 | 0 | 0
5/9/2024 | 15 | 52055 | 10146 | -10284 | 6675 | 4342 | -4402 | 0.12741 | 0 | 0 | 0
5/9/2024 | 16 | 71547 | 13293 | -13229 | 9580 | 5690 | -5662 | 0.13417 | 0 | 0 | 0
5/9/2024 | 17 | 74732 | 13189 | -12781 | 10844 | 5645 | -5470 | 0.14665 | 0 | 0 | 0
5/9/2024 | 18 | 77787 | 12618 | -11761 | 12263 | 5400 | -5034 | 0.16058 | 0 | 0 | 0
5/9/2024 | 19 | 79706 | 12038 | -10936 | 15441 | 5152 | -4681 | 0.19691 | 7 | 0 | 0
5/9/2024 | 20 | 80847 | 12245 | -11137 | 18029 | 5241 | -4766 | 0.22578 | 0 | 0 | 0
5/9/2024 | 21 | 80132 | 12521 | -11265 | 18395 | 5359 | -4821 | 0.23263 | 0 | 0 | 0
5/9/2024 | 22 | 77130 | 12439 | -11215 | 18145 | 5324 | -4800 | 0.23826 | 97 | 0 | 0
5/9/2024 | 23 | 71561 | 11267 | -10027 | 17550 | 4822 | -4291 | 0.24836 | 0 | 0 | 0
5/9/2024 | 24 | 65842 | 11210 | -9610 | 16793 | 4798 | -4113 | 0.25916 | 63 | 0 | 0
5/10/2024 | 1 | 63042 | 12124 | -10575 | 16270 | 5189 | -4526 | 0.26216 | 478 | 66 | 0.13808
5/10/2024 | 2 | 60938 | 11985 | -10587 | 16027 | 5130 | -4531 | 0.26672 | 346 | 2 | 0.0057803
5/10/2024 | 3 | 59646 | 11956 | -10568 | 15940 | 5117 | -4523 | 0.2709 | 411 | 0 | 0
5/10/2024 | 4 | 58971 | 11874 | -10547 | 15487 | 5082 | -4514 | 0.26626 | 243 | 0 | 0
5/10/2024 | 5 | 60125 | 11999 | -10821 | 16008 | 5136 | -4631 | 0.26937 | 89 | 0 | 0
5/10/2024 | 6 | 63332 | 12142 | -10958 | 16473 | 5197 | -4690 | 0.26319 | 169 | 0 | 0
5/10/2024 | 7 | 67044 | 11767 | -10554 | 14923 | 5036 | -4517 | 0.22623 | 780 | 143 | 0.18333
5/10/2024 | 8 | 69342 | 11721 | -10634 | 11148 | 5017 | -4551 | 0.1649 | 652 | 142 | 0.21779
5/10/2024 | 9 | 70788 | 12087 | -12003 | 9813 | 5173 | -5137 | 0.13897 | 6 | 0 | 0
5/10/2024 | 10 | 70539 | 12513 | -12938 | 9414 | 5356 | -5538 | 0.13167 | 15 | 0 | 0
5/10/2024 | 11 | 69571 | 12494 | -13026 | 9231 | 5348 | -5575 | 0.13042 | 0 | 0 | 0
5/10/2024 | 12 | 69450 | 12877 | -13519 | 9622 | 5511 | -5786 | 0.13584 | 0 | 0 | 0
5/10/2024 | 13 | 70688 | 12955 | -13411 | 9752 | 5545 | -5740 | 0.13608 | 0 | 0 | 0
5/10/2024 | 14 | 72168 | 13269 | -13450 | 10411 | 5679 | -5757 | 0.14354 | 0 | 0 | 0
5/10/2024 | 15 | 74024 | 13512 | -13617 | 11815 | 5783 | -5828 | 0.15923 | 189 | 0 | 0
5/10/2024 | 16 | 76538 | 13954 | -14074 | 12694 | 5972 | -6024 | 0.16543 | 1026 | 132 | 0.12865
5/10/2024 | 17 | 79131 | 13948 | -13380 | 13739 | 5970 | -5727 | 0.17544 | 959 | 127 | 0.13243
5/10/2024 | 18 | 81765 | 14412 | -13946 | 15299 | 6168 | -5969 | 0.18847 | 623 | 21 | 0.033708
5/10/2024 | 19 | 82937 | 13824 | -13187 | 17660 | 5916 | -5644 | 0.21456 | 419 | 0 | 0
5/10/2024 | 20 | 82840 | 13759 | -12637 | 19235 | 5889 | -5409 | 0.23481 | 820 | 3 | 0.0036585
5/10/2024 | 21 | 80553 | 13437 | -11843 | 19321 | 5751 | -5069 | 0.2435 | 551 | 1 | 0.0018149
5/10/2024 | 22 | 77382 | 12893 | -11501 | 18741 | 5518 | -4923 | 0.24546 | 724 | 46 | 0.063536
5/10/2024 | 23 | 72794 | 12419 | -11265 | 18051 | 5315 | -4822 | 0.25077 | 524 | 16 | 0.030534
5/10/2024 | 24 | 67663 | 12552 | -11092 | 17586 | 5372 | -4747 | 0.26346 | 750 | 70 | 0.093333
5/11/2024 | 1 | 63910 | 11512 | -10155 | 16470 | 4927 | -4346 | 0.26125 | 291 | 2 | 0.0068729
5/11/2024 | 2 | 61007 | 11341 | -9900 | 15604 | 4854 | -4237 | 0.25975 | 402 | 46 | 0.11443
5/11/2024 | 3 | 59427 | 11222 | -9936 | 15025 | 4803 | -4252 | 0.25655 | 339 | 5 | 0.014749
5/11/2024 | 4 | 58466 | 10961 | -9733 | 14885 | 4691 | -4166 | 0.25815 | 290 | 1 | 0.0034483
5/11/2024 | 5 | 58391 | 11306 | -10055 | 14519 | 4839 | -4303 | 0.25242 | 388 | 39 | 0.10052
5/11/2024 | 6 | 58991 | 11760 | -10369 | 14270 | 5033 | -4438 | 0.24618 | 350 | 1 | 0.0028571
5/11/2024 | 7 | 59791 | 11740 | -10290 | 12499 | 5025 | -4404 | 0.21424 | 620 | 80 | 0.12903
5/11/2024 | 8 | 61223 | 11822 | -10883 | 8905 | 5060 | -4658 | 0.14972 | 27 | 0 | 0
5/11/2024 | 9 | 63737 | 11526 | -11457 | 7981 | 4933 | -4904 | 0.12554 | 0 | 0 | 0
5/11/2024 | 10 | 63730 | 11930 | -12038 | 7766 | 5106 | -5152 | 0.12134 | 0 | 0 | 0
5/11/2024 | 11 | 63310 | 12138 | -12286 | 7835 | 5195 | -5258 | 0.12305 | 0 | 0 | 0
5/11/2024 | 12 | 63909 | 12644 | -12868 | 7902 | 5412 | -5508 | 0.12257 | 0 | 0 | 0
5/11/2024 | 13 | 65297 | 12610 | -13039 | 7829 | 5397 | -5581 | 0.11785 | 0 | 0 | 0
5/11/2024 | 14 | 67219 | 12564 | -12950 | 7934 | 5377 | -5543 | 0.11623 | 0 | 0 | 0
5/11/2024 | 15 | 69404 | 12930 | -13324 | 8259 | 5534 | -5703 | 0.11723 | 0 | 0 | 0
5/11/2024 | 16 | 72942 | 13399 | -13782 | 9127 | 5735 | -5899 | 0.12353 | 0 | 0 | 0
5/11/2024 | 17 | 76449 | 14023 | -13850 | 9780 | 6002 | -5928 | 0.12861 | 0 | 0 | 0
5/11/2024 | 18 | 78754 | 14080 | -12887 | 10803 | 6026 | -5515 | 0.14152 | 0 | 0 | 0
5/11/2024 | 19 | 80325 | 14627 | -12754 | 13675 | 6260 | -5459 | 0.17611 | 0 | 0 | 0
5/11/2024 | 20 | 79928 | 15305 | -13352 | 15749 | 6551 | -5715 | 0.20255 | 151 | 0 | 0
5/11/2024 | 21 | 77994 | 15109 | -13055 | 15877 | 6467 | -5587 | 0.20934 | 306 | 0 | 0
5/11/2024 | 22 | 74946 | 14729 | -12628 | 15471 | 6304 | -5405 | 0.21247 | 335 | 12 | 0.035821
5/11/2024 | 23 | 70250 | 13664 | -11621 | 15608 | 5848 | -4974 | 0.22799 | 357 | 1 | 0.0028011
5/11/2024 | 24 | 65581 | 13335 | -11092 | 15310 | 5707 | -4747 | 0.23989 | 878 | 127 | 0.14465
5/12/2024 | 1 | 62795 | 11408 | -9259 | 14505 | 4882 | -3963 | 0.2375 | 811 | 181 | 0.22318
5/12/2024 | 2 | 59732 | 11653 | -9479 | 13886 | 4987 | -4057 | 0.23933 | 607 | 152 | 0.25041
5/12/2024 | 3 | 57591 | 11410 | -9078 | 13366 | 4883 | -3885 | 0.23971 | 605 | 100 | 0.16529
5/12/2024 | 4 | 56474 | 11421 | -9233 | 12973 | 4888 | -3952 | 0.2371 | 367 | 24 | 0.065395
5/12/2024 | 5 | 55674 | 11102 | -8811 | 12603 | 4752 | -3771 | 0.23435 | 268 | 0 | 0
5/12/2024 | 6 | 56094 | 11433 | -9182 | 11961 | 4893 | -3930 | 0.22151 | 291 | 2 | 0.0068729
5/12/2024 | 7 | 56954 | 10389 | -8855 | 10196 | 4447 | -3790 | 0.18556 | 280 | 12 | 0.042857
5/12/2024 | 8 | 59992 | 10154 | -9632 | 7436 | 4346 | -4122 | 0.12658 | 0 | 0 | 0
5/12/2024 | 9 | 62236 | 10710 | -10959 | 6834 | 4584 | -4690 | 0.10854 | 0 | 0 | 0
5/12/2024 | 10 | 63158 | 11166 | -11809 | 6752 | 4779 | -5054 | 0.10361 | 0 | 0 | 0
5/12/2024 | 11 | 62843 | 11364 | -12302 | 6744 | 4864 | -5265 | 0.10246 | 0 | 0 | 0
5/12/2024 | 12 | 62552 | 11365 | -12260 | 6881 | 4864 | -5247 | 0.10539 | 0 | 0 | 0
5/12/2024 | 13 | 63561 | 11454 | -12352 | 7068 | 4902 | -5287 | 0.10665 | 0 | 0 | 0
5/12/2024 | 14 | 65465 | 12097 | -13007 | 7145 | 5177 | -5567 | 0.10464 | 0 | 0 | 0
5/12/2024 | 15 | 68479 | 12394 | -13319 | 7606 | 5304 | -5701 | 0.10671 | 0 | 0 | 0
5/12/2024 | 16 | 72388 | 12780 | -13771 | 8336 | 5470 | -5894 | 0.11082 | 0 | 0 | 0
5/12/2024 | 17 | 76533 | 13286 | -13989 | 9122 | 5687 | -5987 | 0.11634 | 0 | 0 | 0
5/12/2024 | 18 | 80301 | 12758 | -12429 | 10837 | 5461 | -5320 | 0.13615 | 0 | 0 | 0
5/12/2024 | 19 | 82386 | 12188 | -11295 | 14128 | 5216 | -4834 | 0.17423 | 0 | 0 | 0
5/12/2024 | 20 | 80810 | 14207 | -12167 | 16217 | 6081 | -5207 | 0.20629 | 90 | 0 | 0
5/12/2024 | 21 | 79433 | 14298 | -12175 | 16616 | 6120 | -5211 | 0.21488 | 206 | 0 | 0
5/12/2024 | 22 | 76402 | 13327 | -11166 | 15905 | 5704 | -4779 | 0.21422 | 438 | 7 | 0.015982
5/12/2024 | 23 | 71008 | 13362 | -10881 | 15340 | 5719 | -4657 | 0.22319 | 310 | 4 | 0.012903
5/12/2024 | 24 | 64958 | 12917 | -10256 | 14670 | 5528 | -4390 | 0.23378 | 672 | 131 | 0.19494
5/13/2024 | 1 | 61797 | 13026 | -10708 | 13850 | 5575 | -4583 | 0.23149 | 889 | 252 | 0.28346
5/13/2024 | 2 | 59302 | 12831 | -10493 | 12971 | 5492 | -4491 | 0.22667 | 1019 | 265 | 0.26006
5/13/2024 | 3 | 57339 | 12669 | -10088 | 12457 | 5422 | -4318 | 0.22632 | 896 | 185 | 0.20647
5/13/2024 | 4 | 56982 | 12609 | -10185 | 12237 | 5397 | -4359 | 0.22346 | 743 | 137 | 0.18439
5/13/2024 | 5 | 58104 | 13286 | -10786 | 12493 | 5686 | -4616 | 0.2238 | 641 | 86 | 0.13417
5/13/2024 | 6 | 61778 | 14017 | -11510 | 13178 | 5999 | -4926 | 0.22168 | 410 | 19 | 0.046341
5/13/2024 | 7 | 65995 | 12227 | -9769 | 13020 | 5233 | -4181 | 0.20557 | 1363 | 306 | 0.2245
5/13/2024 | 8 | 69933 | 11304 | -9530 | 10638 | 4838 | -4079 | 0.15894 | 369 | 47 | 0.12737
5/13/2024 | 9 | 71729 | 11276 | -10207 | 9454 | 4826 | -4369 | 0.13614 | 0 | 0 | 0
5/13/2024 | 10 | 72777 | 11141 | -10254 | 9637 | 4768 | -4389 | 0.13597 | 0 | 0 | 0
5/13/2024 | 11 | 72624 | 10857 | -10045 | 9585 | 4647 | -4299 | 0.13526 | 0 | 0 | 0
5/13/2024 | 12 | 72546 | 10975 | -10172 | 9739 | 4697 | -4354 | 0.13745 | 0 | 0 | 0
5/13/2024 | 13 | 73769 | 11136 | -10543 | 9855 | 4766 | -4512 | 0.13594 | 0 | 0 | 0
5/13/2024 | 14 | 75058 | 11792 | -11266 | 10249 | 5047 | -4822 | 0.13857 | 0 | 0 | 0
5/13/2024 | 15 | 76949 | 12525 | -11738 | 10632 | 5361 | -5024 | 0.14111 | 0 | 0 | 0
5/13/2024 | 16 | 80191 | 12817 | -11943 | 11842 | 5486 | -5112 | 0.15069 | 0 | 0 | 0
5/13/2024 | 17 | 83226 | 13624 | -12773 | 12856 | 5831 | -5467 | 0.15724 | 0 | 0 | 0
5/13/2024 | 18 | 85570 | 13659 | -12487 | 14309 | 5846 | -5344 | 0.17075 | 0 | 0 | 0
5/13/2024 | 19 | 86278 | 14433 | -12951 | 17218 | 6178 | -5543 | 0.20343 | 0 | 0 | 0
5/13/2024 | 20 | 85752 | 14556 | -12746 | 19296 | 6230 | -5455 | 0.22922 | 0 | 0 | 0
5/13/2024 | 21 | 84021 | 14263 | -12363 | 19406 | 6105 | -5292 | 0.23532 | 128 | 0 | 0
5/13/2024 | 22 | 79864 | 13922 | -11669 | 17850 | 5959 | -4994 | 0.22912 | 266 | 12 | 0.045113
5/13/2024 | 23 | 74779 | 13662 | -11719 | 17144 | 5847 | -5016 | 0.23429 | 395 | 1 | 0.0025316
5/13/2024 | 24 | 69163 | 13012 | -10846 | 17124 | 5569 | -4642 | 0.25307 | 507 | 9 | 0.017751
5/14/2024 | 1 | 65335 | 12514 | -10257 | 15494 | 5356 | -4390 | 0.24352 | 261 | 0 | 0
5/14/2024 | 2 | 62571 | 12027 | -9803 | 14835 | 5148 | -4196 | 0.24365 | 284 | 0 | 0
5/14/2024 | 3 | 60557 | 11780 | -9473 | 14743 | 5042 | -4055 | 0.25022 | 379 | 30 | 0.079156
5/14/2024 | 4 | 59910 | 11798 | -9475 | 14179 | 5050 | -4055 | 0.24383 | 527 | 74 | 0.14042
5/14/2024 | 5 | 60701 | 12309 | -9863 | 13903 | 5268 | -4221 | 0.23675 | 630 | 86 | 0.13651
5/14/2024 | 6 | 63640 | 12625 | -9787 | 14263 | 5403 | -4189 | 0.23281 | 432 | 23 | 0.053241
5/14/2024 | 7 | 67975 | 11734 | -9170 | 14209 | 5022 | -3925 | 0.21699 | 1066 | 202 | 0.18949
5/14/2024 | 8 | 70788 | 12289 | -9784 | 11499 | 5260 | -4188 | 0.17152 | 480 | 75 | 0.15625
5/14/2024 | 9 | 71779 | 12098 | -10338 | 9737 | 5178 | -4425 | 0.14265 | 183 | 0 | 0
5/14/2024 | 10 | 65377 | 11369 | -9992 | 8753 | 4866 | -4277 | 0.13995 | 238 | 0 | 0
5/14/2024 | 11 | 70307 | 12037 | -10747 | 9724 | 5152 | -4600 | 0.14353 | 12 | 0 | 0
5/14/2024 | 12 | 70605 | 12346 | -11266 | 9668 | 5284 | -4822 | 0.14131 | 0 | 0 | 0
5/14/2024 | 13 | 72366 | 12196 | -11293 | 10027 | 5220 | -4833 | 0.14213 | 0 | 0 | 0
5/14/2024 | 14 | 74954 | 12177 | -11523 | 10615 | 5212 | -4932 | 0.1441 | 0 | 0 | 0
5/14/2024 | 15 | 77350 | 12812 | -12284 | 11465 | 5483 | -5258 | 0.15011 | 0 | 0 | 0
5/14/2024 | 16 | 80604 | 13222 | -12883 | 12611 | 5659 | -5514 | 0.15759 | 0 | 0 | 0
5/14/2024 | 17 | 84351 | 14400 | -13779 | 13751 | 6163 | -5898 | 0.16495 | 0 | 0 | 0
5/14/2024 | 18 | 87948 | 14347 | -13602 | 15640 | 6140 | -5822 | 0.17992 | 0 | 0 | 0
5/14/2024 | 19 | 88648 | 13912 | -12591 | 17718 | 5954 | -5389 | 0.20321 | 11 | 0 | 0
5/14/2024 | 20 | 87740 | 15017 | -13297 | 19405 | 6427 | -5691 | 0.22514 | 0 | 0 | 0
5/14/2024 | 21 | 86388 | 14794 | -12886 | 19536 | 6332 | -5515 | 0.23051 | 88 | 0 | 0
5/14/2024 | 22 | 82543 | 14074 | -12138 | 18273 | 6024 | -5195 | 0.22612 | 1019 | 89 | 0.087341
5/14/2024 | 23 | 76484 | 13837 | -11661 | 17194 | 5922 | -4991 | 0.23042 | 412 | 31 | 0.075243
5/14/2024 | 24 | 58858 | 10918 | -9065 | 13579 | 4673 | -3880 | 0.23673 | 513 | 122 | 0.23782
5/15/2024 | 1 | 66635 | 13136 | -11277 | 15175 | 5622 | -4826 | 0.23317 | 284 | 1 | 0.0035211
5/15/2024 | 2 | 63201 | 12714 | -10556 | 14395 | 5442 | -4518 | 0.23438 | 242 | 2 | 0.0082645
5/15/2024 | 3 | 61391 | 11934 | -9851 | 13895 | 5108 | -4216 | 0.23296 | 281 | 0 | 0
5/15/2024 | 4 | 60434 | 12744 | -10448 | 14202 | 5454 | -4472 | 0.24205 | 149 | 0 | 0
5/15/2024 | 5 | 61571 | 13195 | -10901 | 13727 | 5648 | -4666 | 0.23031 | 281 | 0 | 0
5/15/2024 | 6 | 64683 | 13428 | -11043 | 14286 | 5747 | -4726 | 0.22823 | 294 | 0 | 0
5/15/2024 | 7 | 68644 | 11899 | -9645 | 13556 | 5093 | -4128 | 0.20482 | 641 | 95 | 0.14821
5/15/2024 | 8 | 71777 | 10665 | -8564 | 11040 | 4565 | -3666 | 0.1616 | 390 | 16 | 0.041026
5/15/2024 | 9 | 73036 | 11878 | -10174 | 9786 | 5084 | -4355 | 0.14069 | 232 | 10 | 0.043103
5/15/2024 | 10 | 73958 | 11947 | -10452 | 9469 | 5113 | -4474 | 0.13396 | 264 | 8 | 0.030303
5/15/2024 | 11 | 74139 | 11473 | -10235 | 9921 | 4911 | -4381 | 0.13865 | 8 | 0 | 0
5/15/2024 | 12 | 74782 | 11511 | -10229 | 10171 | 4927 | -4378 | 0.14093 | 0 | 0 | 0
5/15/2024 | 13 | 75491 | 11859 | -10605 | 10736 | 5076 | -4539 | 0.14689 | 0 | 0 | 0
5/15/2024 | 14 | 77511 | 11800 | -10574 | 11683 | 5051 | -4526 | 0.15505 | 0 | 0 | 0
5/15/2024 | 15 | 78825 | 12549 | -11380 | 12109 | 5371 | -4871 | 0.15762 | 0 | 0 | 0
5/15/2024 | 16 | 81081 | 12578 | -11326 | 12244 | 5383 | -4848 | 0.15521 | 0 | 0 | 0
5/15/2024 | 17 | 85061 | 13512 | -12244 | 13292 | 5783 | -5241 | 0.16025 | 0 | 0 | 0
5/15/2024 | 18 | 87063 | 13949 | -12506 | 14145 | 5970 | -5352 | 0.1668 | 154 | 0 | 0
5/15/2024 | 19 | 87405 | 15632 | -13598 | 16185 | 6690 | -5820 | 0.19069 | 0 | 0 | 0
5/15/2024 | 20 | 86967 | 16658 | -14544 | 17516 | 7130 | -6225 | 0.20679 | 0 | 0 | 0
5/15/2024 | 21 | 86192 | 16456 | -14379 | 17740 | 7043 | -6154 | 0.21105 | 0 | 0 | 0
5/15/2024 | 22 | 82919 | 16159 | -14472 | 16807 | 6916 | -6194 | 0.20718 | 0 | 0 | 0
5/15/2024 | 23 | 77289 | 16536 | -14906 | 15808 | 7077 | -6380 | 0.20914 | 0 | 0 | 0
5/15/2024 | 24 | 71498 | 16384 | -14562 | 14913 | 7012 | -6232 | 0.21403 | 138 | 0 | 0
5/16/2024 | 1 | 68244 | 16071 | -14891 | 13872 | 6878 | -6373 | 0.20709 | 0 | 0 | 0
5/16/2024 | 2 | 64877 | 16595 | -15079 | 12950 | 7103 | -6454 | 0.20483 | 0 | 0 | 0
5/16/2024 | 3 | 62636 | 17005 | -15421 | 12302 | 7278 | -6600 | 0.20212 | 0 | 0 | 0
5/16/2024 | 4 | 61576 | 16805 | -14987 | 12059 | 7192 | -6414 | 0.2025 | 0 | 0 | 0
5/16/2024 | 5 | 62205 | 16735 | -14839 | 12047 | 7163 | -6351 | 0.20061 | 0 | 0 | 0
5/16/2024 | 6 | 65584 | 17359 | -15696 | 12683 | 7430 | -6718 | 0.19919 | 0 | 0 | 0
5/16/2024 | 7 | 69371 | 16592 | -14582 | 12080 | 7101 | -6241 | 0.18128 | 10 | 0 | 0
5/16/2024 | 8 | 73491 | 12985 | -11921 | 9586 | 5558 | -5102 | 0.13469 | 0 | 0 | 0
5/16/2024 | 9 | 75014 | 11912 | -11686 | 8766 | 5098 | -5002 | 0.11778 | 0 | 0 | 0
5/16/2024 | 10 | 75315 | 12141 | -12010 | 8829 | 5196 | -5140 | 0.11777 | 0 | 0 | 0
5/16/2024 | 11 | 75301 | 11737 | -11843 | 8917 | 5023 | -5069 | 0.11797 | 0 | 0 | 0
5/16/2024 | 12 | 75529 | 11628 | -11627 | 9233 | 4977 | -4976 | 0.12226 | 0 | 0 | 0
5/16/2024 | 13 | 75837 | 12178 | -12252 | 9617 | 5212 | -5244 | 0.12651 | 0 | 0 | 0
5/16/2024 | 14 | 75923 | 12510 | -12507 | 9827 | 5354 | -5353 | 0.12944 | 0 | 0 | 0
5/16/2024 | 15 | 77693 | 11882 | -12106 | 9975 | 5085 | -5181 | 0.12752 | 0 | 0 | 0
5/16/2024 | 16 | 79390 | 11927 | -12224 | 10265 | 5105 | -5232 | 0.12818 | 0 | 0 | 0
5/16/2024 | 17 | 82408 | 13559 | -13707 | 10510 | 5803 | -5867 | 0.12699 | 0 | 0 | 0
5/16/2024 | 18 | 84951 | 15212 | -14318 | 11106 | 6511 | -6128 | 0.13383 | 0 | 0 | 0
5/16/2024 | 19 | 86211 | 17123 | -15666 | 12946 | 7329 | -6705 | 0.15479 | 0 | 0 | 0
5/16/2024 | 20 | 86173 | 17514 | -15733 | 14838 | 7496 | -6734 | 0.17737 | 0 | 0 | 0
5/16/2024 | 21 | 84957 | 17961 | -16068 | 15398 | 7687 | -6877 | 0.18662 | 0 | 0 | 0
5/16/2024 | 22 | 81595 | 17566 | -15592 | 14696 | 7518 | -6673 | 0.18597 | 0 | 0 | 0
5/16/2024 | 23 | 76500 | 18242 | -16194 | 14151 | 7807 | -6931 | 0.19131 | 0 | 0 | 0
5/16/2024 | 24 | 71049 | 17856 | -15665 | 13840 | 7642 | -6705 | 0.20176 | 0 | 0 | 0
5/17/2024 | 1 | 67383 | 16380 | -14614 | 13528 | 7011 | -6255 | 0.20657 | 0 | 0 | 0
5/17/2024 | 2 | 64981 | 15608 | -14179 | 12217 | 6680 | -6069 | 0.19316 | 0 | 0 | 0
5/17/2024 | 3 | 62834 | 15955 | -14462 | 11462 | 6829 | -6190 | 0.18812 | 0 | 0 | 0
5/17/2024 | 4 | 62640 | 15755 | -14310 | 11171 | 6743 | -6125 | 0.18396 | 0 | 0 | 0
5/17/2024 | 5 | 63336 | 16182 | -14865 | 10997 | 6926 | -6362 | 0.17882 | 0 | 0 | 0
5/17/2024 | 6 | 66746 | 16555 | -15541 | 11111 | 7086 | -6651 | 0.1704 | 0 | 0 | 0
5/17/2024 | 7 | 70904 | 15812 | -14993 | 10496 | 6767 | -6417 | 0.15122 | 248 | 0 | 0
5/17/2024 | 8 | 74929 | 12873 | -12771 | 8064 | 5510 | -5466 | 0.10806 | 87 | 0 | 0
5/17/2024 | 9 | 70177 | 11204 | -12140 | 7102 | 4795 | -5196 | 0.096778 | 0 | 0 | 0
5/17/2024 | 10 | 77446 | 12098 | -13428 | 7625 | 5178 | -5747 | 0.092701 | 0 | 0 | 0
5/17/2024 | 11 | 77407 | 11583 | -13237 | 7787 | 4958 | -5666 | 0.093448 | 0 | 0 | 0
5/17/2024 | 12 | 77309 | 11815 | -13409 | 8087 | 5057 | -5739 | 0.097801 | 0 | 0 | 0
5/17/2024 | 13 | 77650 | 11747 | -13420 | 8371 | 5028 | -5744 | 0.10075 | 0 | 0 | 0
5/17/2024 | 14 | 77533 | 12184 | -14087 | 8769 | 5215 | -6029 | 0.10518 | 0 | 0 | 0
5/17/2024 | 15 | 79071 | 12260 | -14150 | 9250 | 5247 | -6056 | 0.10937 | 0 | 0 | 0
5/17/2024 | 16 | 81142 | 12338 | -14215 | 10023 | 5281 | -6084 | 0.11632 | 0 | 0 | 0
5/17/2024 | 17 | 82939 | 13268 | -14631 | 10561 | 5679 | -6262 | 0.12232 | 0 | 0 | 0
5/17/2024 | 18 | 85108 | 15236 | -15139 | 10954 | 6521 | -6479 | 0.12905 | 0 | 0 | 0
5/17/2024 | 19 | 85968 | 18876 | -18134 | 11832 | 8079 | -7761 | 0.14012 | 0 | 0 | 0
5/17/2024 | 20 | 86032 | 19265 | -18292 | 13189 | 8245 | -7829 | 0.15637 | 17 | 0 | 0
5/17/2024 | 21 | 84726 | 19461 | -18395 | 13353 | 8329 | -7873 | 0.16096 | 301 | 0 | 0
5/17/2024 | 22 | 81821 | 19053 | -17869 | 12865 | 8155 | -7648 | 0.1611 | 14 | 0 | 0
5/17/2024 | 23 | 76974 | 17569 | -16287 | 12551 | 7519 | -6971 | 0.16739 | 0 | 0 | 0
5/17/2024 | 24 | 71866 | 17304 | -15722 | 12292 | 7406 | -6729 | 0.17657 | 7 | 0 | 0
5/18/2024 | 1 | 68925 | 17021 | -15646 | 11736 | 7285 | -6697 | 0.17531 | 3 | 0 | 0
5/18/2024 | 2 | 66037 | 16854 | -15475 | 11170 | 7214 | -6623 | 0.17445 | 0 | 0 | 0
5/18/2024 | 3 | 63571 | 16344 | -14906 | 10731 | 6995 | -6380 | 0.17453 | 0 | 0 | 0
5/18/2024 | 4 | 62480 | 16011 | -14704 | 10483 | 6853 | -6293 | 0.17312 | 0 | 0 | 0
5/18/2024 | 5 | 62722 | 15758 | -14724 | 10476 | 6745 | -6302 | 0.17126 | 0 | 0 | 0
5/18/2024 | 6 | 63582 | 15930 | -15097 | 10471 | 6818 | -6462 | 0.16808 | 0 | 0 | 0
5/18/2024 | 7 | 65057 | 14090 | -13677 | 9518 | 6030 | -5854 | 0.14807 | 0 | 0 | 0
5/18/2024 | 8 | 67260 | 11117 | -11117 | 8850 | 4758 | -4758 | 0.13158 | 0 | 0 | 0
5/18/2024 | 9 | 68766 | 10943 | -11608 | 8130 | 4684 | -4968 | 0.11521 | 0 | 0 | 0
5/18/2024 | 10 | 70062 | 11159 | -12326 | 8028 | 4776 | -5276 | 0.10927 | 0 | 0 | 0
5/18/2024 | 11 | 70007 | 11867 | -13161 | 8102 | 5079 | -5633 | 0.10985 | 0 | 0 | 0
5/18/2024 | 12 | 70565 | 12260 | -13676 | 8361 | 5247 | -5853 | 0.11215 | 0 | 0 | 0
5/18/2024 | 13 | 70547 | 12586 | -14254 | 8590 | 5387 | -6101 | 0.11435 | 0 | 0 | 0
5/18/2024 | 14 | 71591 | 12786 | -14472 | 8924 | 5472 | -6194 | 0.11733 | 0 | 0 | 0
5/18/2024 | 15 | 73566 | 13064 | -14889 | 9229 | 5591 | -6373 | 0.11774 | 0 | 0 | 0
5/18/2024 | 16 | 76343 | 12948 | -14757 | 9487 | 5542 | -6316 | 0.1169 | 0 | 0 | 0
5/18/2024 | 17 | 79029 | 13588 | -15042 | 9917 | 5816 | -6438 | 0.11982 | 0 | 0 | 0
5/18/2024 | 18 | 81530 | 14965 | -15304 | 10559 | 6405 | -6550 | 0.12827 | 0 | 0 | 0
5/18/2024 | 19 | 82946 | 16222 | -15723 | 12178 | 6943 | -6730 | 0.14849 | 0 | 0 | 0
5/18/2024 | 20 | 82650 | 18374 | -17599 | 13643 | 7864 | -7532 | 0.16752 | 0 | 0 | 0
5/18/2024 | 21 | 81766 | 17957 | -17031 | 14226 | 7686 | -7289 | 0.17684 | 0 | 0 | 0
5/18/2024 | 22 | 78415 | 17752 | -16759 | 13553 | 7598 | -7173 | 0.17603 | 0 | 0 | 0
5/18/2024 | 23 | 73970 | 16534 | -15327 | 12746 | 7077 | -6560 | 0.17642 | 0 | 0 | 0
5/18/2024 | 24 | 69568 | 15950 | -14891 | 12134 | 6826 | -6373 | 0.17822 | 0 | 0 | 0
5/19/2024 | 1 | 66886 | 15925 | -14983 | 11231 | 6816 | -6413 | 0.17152 | 2 | 0 | 0
5/19/2024 | 2 | 64316 | 15886 | -14972 | 10505 | 6799 | -6408 | 0.16704 | 0 | 0 | 0
5/19/2024 | 3 | 62730 | 15114 | -14291 | 10174 | 6469 | -6116 | 0.16564 | 0 | 0 | 0
5/19/2024 | 4 | 61686 | 14622 | -13911 | 9939 | 6258 | -5954 | 0.16416 | 0 | 0 | 0
5/19/2024 | 5 | 61390 | 14590 | -13973 | 9648 | 6244 | -5980 | 0.15985 | 0 | 0 | 0
5/19/2024 | 6 | 61599 | 14272 | -13584 | 9443 | 6108 | -5814 | 0.15632 | 0 | 0 | 0
5/19/2024 | 7 | 62682 | 11452 | -11307 | 8893 | 4901 | -4839 | 0.14253 | 0 | 0 | 0
5/19/2024 | 8 | 65102 | 10958 | -11962 | 7936 | 4690 | -5120 | 0.1171 | 0 | 0 | 0
5/19/2024 | 9 | 66427 | 10372 | -12068 | 7724 | 4439 | -5165 | 0.10811 | 0 | 0 | 0
5/19/2024 | 10 | 66895 | 10738 | -13137 | 7702 | 4596 | -5623 | 0.10349 | 0 | 0 | 0
5/19/2024 | 11 | 66518 | 11017 | -13784 | 7699 | 4715 | -5899 | 0.10219 | 0 | 0 | 0
5/19/2024 | 12 | 66348 | 10903 | -13610 | 7899 | 4666 | -5825 | 0.10591 | 0 | 0 | 0
5/19/2024 | 13 | 66544 | 11504 | -14146 | 8131 | 4924 | -6055 | 0.10954 | 0 | 0 | 0
5/19/2024 | 14 | 68431 | 10957 | -13981 | 8407 | 4690 | -5984 | 0.10875 | 0 | 0 | 0
5/19/2024 | 15 | 70088 | 11290 | -14279 | 8878 | 4832 | -6111 | 0.11325 | 0 | 0 | 0
5/19/2024 | 16 | 73137 | 11601 | -14743 | 9214 | 4965 | -6310 | 0.11242 | 0 | 0 | 0
5/19/2024 | 17 | 77142 | 12563 | -15905 | 9473 | 5377 | -6807 | 0.10898 | 0 | 0 | 0
5/19/2024 | 18 | 81099 | 11653 | -13734 | 9996 | 4988 | -5878 | 0.11524 | 0 | 0 | 0
5/19/2024 | 19 | 82901 | 12775 | -13030 | 11545 | 5468 | -5577 | 0.13837 | 0 | 0 | 0
5/19/2024 | 20 | 83092 | 14466 | -14178 | 13278 | 6192 | -6068 | 0.16073 | 121 | 0 | 0
5/19/2024 | 21 | 82002 | 14341 | -13911 | 14239 | 6138 | -5954 | 0.17497 | 126 | 0 | 0
5/19/2024 | 22 | 79306 | 13674 | -13437 | 13770 | 5852 | -5751 | 0.17438 | 207 | 0 | 0
5/19/2024 | 23 | 73792 | 14933 | -14235 | 13008 | 6391 | -6093 | 0.17863 | 372 | 2 | 0.0053763
5/19/2024 | 24 | 68530 | 14670 | -13782 | 12436 | 6279 | -5899 | 0.18462 | 725 | 0 | 0
5/20/2024 | 1 | 65126 | 13803 | -12899 | 11976 | 5907 | -5521 | 0.18722 | 514 | 0 | 0
5/20/2024 | 2 | 62627 | 13289 | -12452 | 11158 | 5688 | -5330 | 0.18146 | 370 | 0 | 0
5/20/2024 | 3 | 61218 | 13268 | -12490 | 10763 | 5679 | -5346 | 0.17898 | 124 | 0 | 0
5/20/2024 | 4 | 61194 | 13257 | -12514 | 10733 | 5674 | -5356 | 0.17842 | 155 | 0 | 0
5/20/2024 | 5 | 62905 | 14170 | -13306 | 11266 | 6065 | -5695 | 0.18247 | 474 | 0 | 0
5/20/2024 | 6 | 66172 | 15278 | -14172 | 11606 | 6539 | -6066 | 0.17954 | 402 | 3 | 0.0074627
5/20/2024 | 7 | 70804 | 13289 | -12387 | 11722 | 5688 | -5302 | 0.16886 | 627 | 92 | 0.14673
5/20/2024 | 8 | 73829 | 9470 | -8997 | 10266 | 4053 | -3851 | 0.14088 | 492 | 43 | 0.087398
5/20/2024 | 9 | 75538 | 8968 | -9328 | 10191 | 3838 | -3992 | 0.13351 | 345 | 4 | 0.011594
5/20/2024 | 10 | 75062 | 9264 | -9950 | 9324 | 3965 | -4258 | 0.12142 | 0 | 0 | 0
5/20/2024 | 11 | 73633 | 9476 | -10263 | 8940 | 4056 | -4393 | 0.1181 | 0 | 0 | 0
5/20/2024 | 12 | 72958 | 10032 | -10891 | 9217 | 4294 | -4661 | 0.12275 | 0 | 0 | 0
5/20/2024 | 13 | 73208 | 10784 | -11550 | 9388 | 4616 | -4943 | 0.12508 | 0 | 0 | 0
5/20/2024 | 14 | 73608 | 11111 | -11901 | 9445 | 4755 | -5094 | 0.12505 | 0 | 0 | 0
5/20/2024 | 15 | 73957 | 11501 | -12429 | 9616 | 4922 | -5319 | 0.12624 | 0 | 0 | 0
5/20/2024 | 16 | 74918 | 11270 | -12342 | 9990 | 4824 | -5282 | 0.12908 | 0 | 0 | 0
5/20/2024 | 17 | 76665 | 12352 | -13074 | 9886 | 5287 | -5596 | 0.12611 | 0 | 0 | 0
5/20/2024 | 18 | 80283 | 13421 | -13560 | 10421 | 5744 | -5804 | 0.12928 | 0 | 0 | 0
5/20/2024 | 19 | 81932 | 14637 | -14859 | 11859 | 6265 | -6360 | 0.14397 | 31 | 0 | 0
5/20/2024 | 20 | 82658 | 15868 | -15728 | 14069 | 6791 | -6731 | 0.17064 | 79 | 0 | 0
5/20/2024 | 21 | 82681 | 16015 | -15713 | 14891 | 6854 | -6725 | 0.181 | 375 | 7 | 0.018667
5/20/2024 | 22 | 66361 | 13531 | -12947 | 11774 | 5791 | -5541 | 0.17961 | 485 | 0 | 0
5/20/2024 | 23 | 74754 | 15855 | -15267 | 13618 | 6786 | -6534 | 0.18409 | 566 | 0 | 0
5/20/2024 | 24 | 68823 | 15162 | -14182 | 13320 | 6489 | -6070 | 0.19683 | 558 | 0 | 0
5/21/2024 | 1 | 65301 | 15518 | -14350 | 12307 | 6642 | -6142 | 0.19268 | 237 | 0 | 0
5/21/2024 | 2 | 62651 | 15103 | -14003 | 11602 | 6464 | -5993 | 0.18938 | 6 | 0 | 0
5/21/2024 | 3 | 61474 | 15113 | -14032 | 11280 | 6468 | -6006 | 0.18771 | 0 | 0 | 0
5/21/2024 | 4 | 61292 | 15178 | -14210 | 11225 | 6496 | -6082 | 0.18694 | 0 | 0 | 0
5/21/2024 | 5 | 62645 | 15317 | -14338 | 11399 | 6556 | -6137 | 0.18575 | 0 | 0 | 0
5/21/2024 | 6 | 66552 | 15441 | -14844 | 11631 | 6609 | -6353 | 0.17702 | 169 | 0 | 0
5/21/2024 | 7 | 70997 | 12615 | -12385 | 11026 | 5399 | -5301 | 0.15618 | 344 | 9 | 0.026163
5/21/2024 | 8 | 73647 | 11158 | -11397 | 9000 | 4776 | -4878 | 0.12121 | 0 | 0 | 0
5/21/2024 | 9 | 74747 | 10221 | -11244 | 8738 | 4375 | -4812 | 0.1126 | 0 | 0 | 0
5/21/2024 | 10 | 73849 | 10368 | -11146 | 8684 | 4438 | -4770 | 0.1143 | 0 | 0 | 0
5/21/2024 | 11 | 73238 | 10647 | -11505 | 8705 | 4557 | -4924 | 0.1152 | 0 | 0 | 0
5/21/2024 | 12 | 72694 | 10642 | -11435 | 8916 | 4555 | -4894 | 0.11929 | 0 | 0 | 0
5/21/2024 | 13 | 73148 | 10239 | -11224 | 9258 | 4382 | -4804 | 0.12245 | 0 | 0 | 0
5/21/2024 | 14 | 74128 | 10799 | -11776 | 9001 | 4622 | -5040 | 0.11733 | 0 | 0 | 0
5/21/2024 | 15 | 75905 | 11138 | -12326 | 9185 | 4767 | -5276 | 0.11612 | 0 | 0 | 0
5/21/2024 | 16 | 78624 | 11358 | -12342 | 9738 | 4861 | -5282 | 0.12 | 0 | 0 | 0
5/21/2024 | 17 | 81642 | 12438 | -12819 | 10477 | 5323 | -5486 | 0.12692 | 0 | 0 | 0
5/21/2024 | 18 | 84208 | 12953 | -12532 | 11534 | 5544 | -5364 | 0.13842 | 0 | 0 | 0
5/21/2024 | 19 | 84630 | 14000 | -12824 | 13891 | 5992 | -5489 | 0.16775 | 43 | 0 | 0
5/21/2024 | 20 | 84638 | 15933 | -14390 | 15984 | 6819 | -6159 | 0.19313 | 118 | 0 | 0
5/21/2024 | 21 | 83500 | 15672 | -13960 | 15974 | 6707 | -5975 | 0.19605 | 447 | 0 | 0
5/21/2024 | 22 | 80277 | 14849 | -13117 | 15081 | 6355 | -5614 | 0.19293 | 524 | 7 | 0.013359
5/21/2024 | 23 | 74717 | 15968 | -14273 | 14321 | 6834 | -6109 | 0.19691 | 594 | 25 | 0.042088
5/21/2024 | 24 | 69248 | 15324 | -13623 | 13072 | 6559 | -5831 | 0.19451 | 806 | 134 | 0.16625
5/22/2024 | 1 | 65802 | 14786 | -13253 | 11934 | 6328 | -5672 | 0.18698 | 407 | 17 | 0.041769
5/22/2024 | 2 | 63437 | 14782 | -13261 | 11173 | 6327 | -5676 | 0.18203 | 358 | 1 | 0.0027933
5/22/2024 | 3 | 61929 | 15425 | -13876 | 11227 | 6602 | -5939 | 0.18731 | 178 | 0 | 0
5/22/2024 | 4 | 61683 | 15749 | -14168 | 10890 | 6741 | -6064 | 0.18284 | 41 | 0 | 0
5/22/2024 | 5 | 63033 | 15926 | -14407 | 10794 | 6816 | -6166 | 0.17728 | 0 | 0 | 0
5/22/2024 | 6 | 66468 | 15889 | -14355 | 10482 | 6800 | -6144 | 0.16379 | 0 | 0 | 0
5/22/2024 | 7 | 71521 | 13566 | -12488 | 10248 | 5806 | -5345 | 0.14751 | 11 | 0 | 0
5/22/2024 | 8 | 75182 | 11855 | -11696 | 8490 | 5074 | -5006 | 0.11359 | 0 | 0 | 0
5/22/2024 | 9 | 76332 | 10687 | -11581 | 8051 | 4574 | -4957 | 0.10165 | 0 | 0 | 0
5/22/2024 | 10 | 75398 | 11104 | -11916 | 8136 | 4752 | -5100 | 0.10442 | 0 | 0 | 0
5/22/2024 | 11 | 74347 | 11182 | -12252 | 8364 | 4786 | -5244 | 0.10789 | 0 | 0 | 0
5/22/2024 | 12 | 73545 | 11079 | -12083 | 8477 | 4742 | -5172 | 0.11093 | 0 | 0 | 0
5/22/2024 | 13 | 73468 | 11247 | -12219 | 8637 | 4814 | -5230 | 0.1134 | 0 | 0 | 0
5/22/2024 | 14 | 37224 | 5751 | -6468 | 4496 | 2461 | -2768 | 0.11475 | 0 | 0 | 0
5/22/2024 | 15 | 76557 | 11485 | -13062 | 9223 | 4915 | -5591 | 0.11399 | 0 | 0 | 0
5/22/2024 | 17 | 80654 | 12577 | -13126 | 10347 | 5383 | -5618 | 0.12623 | 0 | 0 | 0
5/22/2024 | 18 | 83853 | 13266 | -12849 | 10664 | 5678 | -5499 | 0.12867 | 0 | 0 | 0
5/22/2024 | 19 | 85024 | 15050 | -14128 | 12809 | 6441 | -6047 | 0.15362 | 17 | 0 | 0
5/22/2024 | 20 | 84441 | 16520 | -15103 | 14534 | 7071 | -6464 | 0.17635 | 5 | 0 | 0
5/22/2024 | 21 | 83476 | 16626 | -15317 | 14876 | 7116 | -6556 | 0.18206 | 111 | 0 | 0
5/22/2024 | 22 | 80544 | 15558 | -14256 | 14114 | 6659 | -6102 | 0.17925 | 379 | 0 | 0
5/22/2024 | 23 | 75548 | 15962 | -14797 | 13313 | 6832 | -6333 | 0.18005 | 0 | 0 | 0
5/22/2024 | 24 | 70069 | 15800 | -14515 | 12224 | 6762 | -6212 | 0.17902 | 0 | 0 | 0
5/23/2024 | 1 | 66707 | 14676 | -13565 | 11605 | 6282 | -5806 | 0.17814 | 23 | 0 | 0
5/23/2024 | 2 | 64360 | 14669 | -13493 | 10814 | 6278 | -5775 | 0.17268 | 0 | 0 | 0
5/23/2024 | 3 | 62732 | 14403 | -13324 | 10832 | 6164 | -5703 | 0.17698 | 0 | 0 | 0
5/23/2024 | 4 | 62120 | 14729 | -13400 | 10753 | 6304 | -5735 | 0.17844 | 0 | 0 | 0
5/23/2024 | 5 | 63392 | 14658 | -13316 | 10740 | 6274 | -5699 | 0.17479 | 21 | 0 | 0
5/23/2024 | 6 | 66572 | 14465 | -13121 | 11068 | 6191 | -5616 | 0.17143 | 83 | 0 | 0
5/23/2024 | 7 | 71455 | 11408 | -10736 | 9828 | 4883 | -4595 | 0.14025 | 503 | 2 | 0.0039761
5/23/2024 | 8 | 75019 | 10548 | -10348 | 8989 | 4515 | -4429 | 0.12065 | 246 | 0 | 0
5/23/2024 | 9 | 76111 | 10453 | -11281 | 8281 | 4474 | -4828 | 0.1053 | 0 | 0 | 0
5/23/2024 | 10 | 75378 | 10679 | -11791 | 8277 | 4571 | -5047 | 0.10504 | 0 | 0 | 0
5/23/2024 | 11 | 74633 | 10757 | -11587 | 8266 | 4604 | -4959 | 0.10719 | 0 | 0 | 0
5/23/2024 | 12 | 74075 | 10873 | -11612 | 8475 | 4654 | -4970 | 0.11126 | 0 | 0 | 0
5/23/2024 | 13 | 6197 | 916 | -976 | 716 | 392 | -418 | 0.11243 | 0 | 0 | 0
5/23/2024 | 15 | 75859 | 10986 | -11518 | 9607 | 4702 | -4930 | 0.12451 | 0 | 0 | 0
5/23/2024 | 16 | 71213 | 10528 | -10882 | 8959 | 4506 | -4658 | 0.12429 | 0 | 0 | 0
5/23/2024 | 17 | 79355 | 11969 | -11694 | 10164 | 5123 | -5005 | 0.12912 | 0 | 0 | 0
5/23/2024 | 18 | 82336 | 12972 | -12601 | 10503 | 5552 | -5393 | 0.12891 | 0 | 0 | 0
5/23/2024 | 19 | 83454 | 13029 | -12123 | 12309 | 5577 | -5189 | 0.15051 | 619 | 77 | 0.12439
5/23/2024 | 20 | 82997 | 13630 | -12574 | 14625 | 5834 | -5382 | 0.17937 | 1005 | 176 | 0.17512
5/23/2024 | 21 | 82321 | 12764 | -12066 | 15076 | 5463 | -5164 | 0.1852 | 1126 | 303 | 0.26909
5/23/2024 | 22 | 79995 | 13016 | -12072 | 14073 | 5571 | -5167 | 0.17886 | 997 | 165 | 0.1655
5/23/2024 | 23 | 75849 | 12558 | -12236 | 13545 | 5375 | -5237 | 0.17964 | 844 | 32 | 0.037915
5/23/2024 | 24 | 70449 | 12731 | -12253 | 12812 | 5449 | -5244 | 0.18353 | 901 | 66 | 0.073252
5/24/2024 | 1 | 67410 | 13016 | -12693 | 12119 | 5571 | -5433 | 0.18096 | 748 | 49 | 0.065508
5/24/2024 | 2 | 64751 | 13308 | -12681 | 11544 | 5696 | -5427 | 0.18069 | 710 | 44 | 0.061972
5/24/2024 | 3 | 62818 | 13678 | -12897 | 11516 | 5854 | -5520 | 0.18632 | 462 | 44 | 0.095238
5/24/2024 | 4 | 62235 | 13853 | -13064 | 11557 | 5929 | -5592 | 0.18872 | 383 | 22 | 0.057441
5/24/2024 | 5 | 63060 | 13772 | -12927 | 11425 | 5894 | -5533 | 0.18443 | 577 | 19 | 0.032929
5/24/2024 | 6 | 65650 | 13780 | -12862 | 11821 | 5898 | -5505 | 0.18348 | 876 | 132 | 0.15068
5/24/2024 | 7 | 69632 | 10411 | -9863 | 11766 | 4456 | -4221 | 0.171 | 1704 | 422 | 0.24765
5/24/2024 | 8 | 72243 | 10597 | -10346 | 9290 | 4536 | -4428 | 0.12964 | 314 | 17 | 0.05414
5/24/2024 | 9 | 73936 | 10000 | -10337 | 8913 | 4280 | -4424 | 0.11915 | 0 | 0 | 0
5/24/2024 | 10 | 74427 | 10649 | -11179 | 8438 | 4558 | -4785 | 0.11111 | 0 | 0 | 0
5/24/2024 | 11 | 74172 | 11106 | -11709 | 8140 | 4754 | -5012 | 0.10714 | 0 | 0 | 0
5/24/2024 | 12 | 74874 | 11681 | -12711 | 8248 | 5000 | -5440 | 0.10574 | 0 | 0 | 0
5/24/2024 | 13 | 75850 | 11971 | -13245 | 8678 | 5124 | -5669 | 0.10906 | 0 | 0 | 0
5/24/2024 | 14 | 76478 | 11861 | -13461 | 8929 | 5077 | -5762 | 0.1101 | 0 | 0 | 0
5/24/2024 | 15 | 77169 | 12083 | -13925 | 9430 | 5171 | -5960 | 0.11471 | 0 | 0 | 0
5/24/2024 | 16 | 78615 | 12365 | -14497 | 9532 | 5292 | -6205 | 0.11269 | 0 | 0 | 0
5/24/2024 | 17 | 80212 | 12859 | -14500 | 9858 | 5504 | -6206 | 0.11653 | 0 | 0 | 0
5/24/2024 | 18 | 82446 | 12350 | -13331 | 10380 | 5286 | -5706 | 0.12226 | 0 | 0 | 0
5/24/2024 | 19 | 82348 | 13175 | -13584 | 11880 | 5639 | -5814 | 0.14285 | 0 | 0 | 0
5/24/2024 | 20 | 82160 | 14782 | -14563 | 13635 | 6327 | -6233 | 0.16666 | 0 | 0 | 0
5/24/2024 | 21 | 81241 | 14178 | -13904 | 14214 | 6068 | -5951 | 0.17581 | 187 | 0 | 0
5/24/2024 | 22 | 79325 | 13625 | -13555 | 14081 | 5831 | -5802 | 0.17772 | 277 | 0 | 0
5/24/2024 | 23 | 75341 | 13125 | -13083 | 13838 | 5618 | -5600 | 0.18381 | 386 | 0 | 0
5/24/2024 | 24 | 70613 | 12921 | -12682 | 13213 | 5530 | -5428 | 0.18793 | 416 | 0 | 0
5/25/2024 | 1 | 68080 | 12230 | -12485 | 12664 | 5234 | -5344 | 0.18509 | 459 | 0 | 0
5/25/2024 | 2 | 65124 | 12031 | -12229 | 11573 | 5149 | -5234 | 0.17694 | 606 | 21 | 0.034653
5/25/2024 | 3 | 62950 | 12048 | -12152 | 11124 | 5156 | -5201 | 0.17629 | 600 | 8 | 0.013333
5/25/2024 | 4 | 61762 | 12129 | -12112 | 10794 | 5191 | -5184 | 0.17483 | 715 | 13 | 0.018182
5/25/2024 | 5 | 61878 | 12270 | -12272 | 10429 | 5251 | -5252 | 0.16853 | 641 | 42 | 0.065523
5/25/2024 | 6 | 62382 | 12508 | -12572 | 10190 | 5354 | -5381 | 0.16308 | 533 | 42 | 0.078799
5/25/2024 | 7 | 63511 | 11169 | -11573 | 9162 | 4780 | -4953 | 0.14244 | 557 | 137 | 0.24596
5/25/2024 | 8 | 64856 | 11167 | -11970 | 7483 | 4780 | -5123 | 0.11147 | 0 | 0 | 0
5/25/2024 | 9 | 66691 | 11032 | -12249 | 7125 | 4722 | -5242 | 0.10088 | 0 | 0 | 0
5/25/2024 | 10 | 68000 | 11127 | -12855 | 7115 | 4762 | -5502 | 0.096194 | 0 | 0 | 0
5/25/2024 | 11 | 68373 | 11543 | -13552 | 7074 | 4941 | -5800 | 0.09365 | 0 | 0 | 0
5/25/2024 | 12 | 67681 | 11093 | -13343 | 7209 | 4748 | -5711 | 0.095459 | 0 | 0 | 0
5/25/2024 | 13 | 67255 | 10912 | -13161 | 7417 | 4670 | -5633 | 0.099283 | 0 | 0 | 0
5/25/2024 | 14 | 67273 | 10790 | -13102 | 7318 | 4618 | -5608 | 0.097412 | 0 | 0 | 0
5/25/2024 | 15 | 67616 | 10948 | -13382 | 7586 | 4686 | -5728 | 0.1004 | 0 | 0 | 0
5/25/2024 | 16 | 69048 | 10787 | -13242 | 7905 | 4617 | -5668 | 0.10292 | 0 | 0 | 0
5/25/2024 | 17 | 71591 | 11728 | -13839 | 8217 | 5019 | -5923 | 0.10525 | 0 | 0 | 0
5/25/2024 | 18 | 74545 | 12487 | -13671 | 8656 | 5345 | -5851 | 0.11109 | 0 | 0 | 0
5/25/2024 | 19 | 76240 | 12437 | -13326 | 9796 | 5323 | -5704 | 0.12495 | 0 | 0 | 0
5/25/2024 | 20 | 77662 | 14002 | -14434 | 11323 | 5993 | -6178 | 0.14422 | 0 | 0 | 0
5/25/2024 | 21 | 77944 | 13861 | -14159 | 11552 | 5932 | -6060 | 0.14713 | 101 | 0 | 0
5/25/2024 | 22 | 76011 | 13581 | -14020 | 11038 | 5813 | -6000 | 0.14358 | 0 | 0 | 0
5/25/2024 | 23 | 72205 | 13462 | -13635 | 10889 | 5762 | -5836 | 0.15014 | 0 | 0 | 0
5/25/2024 | 24 | 68167 | 13238 | -13399 | 10581 | 5666 | -5735 | 0.15457 | 0 | 0 | 0
5/26/2024 | 1 | 65221 | 12835 | -13050 | 9790 | 5494 | -5585 | 0.1492 | 0 | 0 | 0
5/26/2024 | 2 | 63259 | 12026 | -12402 | 9875 | 5147 | -5308 | 0.15448 | 0 | 0 | 0
5/26/2024 | 3 | 61751 | 11948 | -12128 | 9544 | 5114 | -5191 | 0.15376 | 0 | 0 | 0
5/26/2024 | 4 | 60737 | 11840 | -12001 | 9598 | 5068 | -5136 | 0.15732 | 0 | 0 | 0
5/26/2024 | 5 | 60057 | 12056 | -12014 | 9348 | 5160 | -5142 | 0.15584 | 0 | 0 | 0
5/26/2024 | 6 | 60473 | 11998 | -12001 | 9210 | 5135 | -5136 | 0.15229 | 0 | 0 | 0
5/26/2024 | 7 | 61852 | 9440 | -10008 | 8026 | 4040 | -4283 | 0.127 | 0 | 0 | 0
5/26/2024 | 8 | 63367 | 8969 | -9983 | 7467 | 3839 | -4273 | 0.11279 | 0 | 0 | 0
5/26/2024 | 9 | 64250 | 9038 | -10545 | 7260 | 3868 | -4513 | 0.10543 | 0 | 0 | 0
5/26/2024 | 10 | 64958 | 8740 | -10820 | 7237 | 3741 | -4631 | 0.10094 | 0 | 0 | 0
5/26/2024 | 11 | 64697 | 8687 | -10742 | 7349 | 3718 | -4598 | 0.10327 | 0 | 0 | 0
5/26/2024 | 12 | 64510 | 8989 | -11096 | 7549 | 3847 | -4749 | 0.10652 | 0 | 0 | 0
5/26/2024 | 13 | 65019 | 9251 | -11381 | 7839 | 3959 | -4871 | 0.11015 | 0 | 0 | 0
5/26/2024 | 14 | 65508 | 9984 | -12031 | 8021 | 4273 | -5149 | 0.11259 | 0 | 0 | 0
5/26/2024 | 15 | 66705 | 10481 | -12441 | 8142 | 4486 | -5325 | 0.1128 | 0 | 0 | 0
5/26/2024 | 16 | 69919 | 10780 | -12770 | 8657 | 4614 | -5465 | 0.11491 | 0 | 0 | 0
5/26/2024 | 17 | 74092 | 10990 | -13208 | 9400 | 4704 | -5653 | 0.11758 | 0 | 0 | 0
5/26/2024 | 18 | 77848 | 11340 | -12948 | 10135 | 4854 | -5542 | 0.12391 | 0 | 0 | 0
5/26/2024 | 19 | 79989 | 10981 | -11369 | 11759 | 4700 | -4866 | 0.14564 | 0 | 0 | 0
5/26/2024 | 20 | 80125 | 12261 | -12158 | 13703 | 5248 | -5204 | 0.17135 | 0 | 0 | 0
5/26/2024 | 21 | 79380 | 11979 | -11556 | 14325 | 5127 | -4946 | 0.18177 | 0 | 0 | 0
5/26/2024 | 22 | 77235 | 11261 | -11041 | 14209 | 4820 | -4725 | 0.18467 | 126 | 0 | 0
5/26/2024 | 23 | 72517 | 11700 | -11234 | 14122 | 5007 | -4808 | 0.19622 | 263 | 0 | 0
5/26/2024 | 24 | 67563 | 11719 | -10994 | 13942 | 5016 | -4706 | 0.2087 | 491 | 6 | 0.01222
5/27/2024 | 1 | 63928 | 11286 | -10069 | 12611 | 4831 | -4309 | 0.2016 | 830 | 56 | 0.06747
5/27/2024 | 2 | 60688 | 11339 | -9793 | 12130 | 4853 | -4191 | 0.20555 | 743 | 82 | 0.11036
5/27/2024 | 3 | 58767 | 10810 | -9082 | 11740 | 4627 | -3887 | 0.2063 | 513 | 0 | 0
5/27/2024 | 4 | 58022 | 10815 | -8991 | 12099 | 4629 | -3848 | 0.21522 | 499 | 0 | 0
5/27/2024 | 5 | 58491 | 10682 | -8976 | 12368 | 4572 | -3842 | 0.21759 | 506 | 0 | 0
5/27/2024 | 6 | 59862 | 10442 | -9028 | 12122 | 4469 | -3864 | 0.2077 | 605 | 7 | 0.01157
5/27/2024 | 7 | 61057 | 9794 | -8693 | 10532 | 4192 | -3721 | 0.17702 | 405 | 31 | 0.076543
5/27/2024 | 8 | 63059 | 9512 | -8809 | 8836 | 4071 | -3770 | 0.1433 | 0 | 0 | 0
5/27/2024 | 9 | 65624 | 11181 | -11115 | 8276 | 4786 | -4757 | 0.12643 | 0 | 0 | 0
5/27/2024 | 10 | 66482 | 11375 | -11688 | 8153 | 4869 | -5002 | 0.1212 | 0 | 0 | 0
5/27/2024 | 11 | 67483 | 11166 | -11760 | 8528 | 4779 | -5033 | 0.1237 | 0 | 0 | 0
5/27/2024 | 12 | 68629 | 11083 | -11973 | 8845 | 4744 | -5125 | 0.12495 | 0 | 0 | 0
5/27/2024 | 13 | 69838 | 11510 | -12443 | 9166 | 4926 | -5326 | 0.12722 | 0 | 0 | 0
5/27/2024 | 14 | 72029 | 11996 | -13166 | 9767 | 5134 | -5635 | 0.13077 | 0 | 0 | 0
5/27/2024 | 15 | 75022 | 12248 | -13381 | 10704 | 5242 | -5727 | 0.1383 | 0 | 0 | 0
5/27/2024 | 16 | 78586 | 12166 | -13220 | 11647 | 5207 | -5658 | 0.1444 | 0 | 0 | 0
5/27/2024 | 17 | 82682 | 13029 | -14216 | 12209 | 5576 | -6084 | 0.14358 | 0 | 0 | 0
5/27/2024 | 18 | 86039 | 12461 | -12700 | 14036 | 5333 | -5436 | 0.16239 | 0 | 0 | 0
5/27/2024 | 19 | 87389 | 13076 | -12810 | 16440 | 5596 | -5483 | 0.18884 | 0 | 0 | 0
5/27/2024 | 20 | 86791 | 13733 | -12894 | 18938 | 5878 | -5518 | 0.22022 | 51 | 0 | 0
5/27/2024 | 21 | 84566 | 13230 | -12035 | 19832 | 5662 | -5151 | 0.23721 | 339 | 0 | 0
5/27/2024 | 22 | 80868 | 12902 | -11418 | 19000 | 5522 | -4887 | 0.23843 | 736 | 22 | 0.029891
5/27/2024 | 23 | 74561 | 11890 | -10276 | 17489 | 5089 | -4398 | 0.23866 | 947 | 103 | 0.10876
5/27/2024 | 24 | 68616 | 11703 | -10058 | 15714 | 5009 | -4305 | 0.23367 | 915 | 184 | 0.20109
5/28/2024 | 1 | 65406 | 11458 | -9769 | 14525 | 4904 | -4181 | 0.22726 | 1150 | 296 | 0.25739
5/28/2024 | 2 | 62118 | 11776 | -9974 | 13329 | 5040 | -4269 | 0.22059 | 767 | 76 | 0.099087
5/28/2024 | 3 | 60225 | 11725 | -10058 | 13011 | 5018 | -4305 | 0.22174 | 428 | 2 | 0.0046729
5/28/2024 | 4 | 59552 | 11804 | -10058 | 12924 | 5052 | -4305 | 0.22303 | 283 | 0 | 0
5/28/2024 | 5 | 60851 | 11965 | -10247 | 12938 | 5121 | -4386 | 0.21853 | 397 | 0 | 0
5/28/2024 | 6 | 63936 | 12651 | -11009 | 13366 | 5415 | -4712 | 0.21454 | 441 | 0 | 0
5/28/2024 | 7 | 67961 | 10479 | -9214 | 12029 | 4485 | -3944 | 0.18158 | 839 | 125 | 0.14899
5/28/2024 | 8 | 71959 | 10327 | -9450 | 9803 | 4420 | -4045 | 0.13974 | 3 | 0 | 0
5/28/2024 | 9 | 74346 | 10633 | -10811 | 9252 | 4551 | -4627 | 0.12372 | 0 | 0 | 0
5/28/2024 | 10 | 75242 | 10629 | -10904 | 9195 | 4549 | -4667 | 0.12108 | 0 | 0 | 0
5/28/2024 | 11 | 75187 | 10872 | -11046 | 8969 | 4653 | -4728 | 0.11857 | 0 | 0 | 0
5/28/2024 | 12 | 76332 | 11194 | -11512 | 9477 | 4791 | -4927 | 0.12289 | 0 | 0 | 0
5/28/2024 | 13 | 78942 | 11601 | -12534 | 10094 | 4965 | -5364 | 0.12428 | 0 | 0 | 0
5/28/2024 | 14 | 80903 | 11916 | -12613 | 10472 | 5100 | -5398 | 0.12685 | 0 | 0 | 0
5/28/2024 | 15 | 83004 | 12492 | -13236 | 11071 | 5347 | -5665 | 0.13072 | 0 | 0 | 0
5/28/2024 | 16 | 86064 | 12850 | -13686 | 11693 | 5500 | -5858 | 0.133 | 0 | 0 | 0
5/28/2024 | 17 | 89391 | 13373 | -14200 | 12248 | 5724 | -6078 | 0.1343 | 0 | 0 | 0
5/28/2024 | 18 | 91648 | 14243 | -14436 | 13326 | 6096 | -6178 | 0.14481 | 0 | 0 | 0
5/28/2024 | 19 | 92780 | 16473 | -16177 | 15880 | 7051 | -6924 | 0.17198 | 72 | 0 | 0
5/28/2024 | 20 | 91126 | 17332 | -16898 | 17347 | 7418 | -7232 | 0.19149 | 826 | 59 | 0.071429
5/28/2024 | 21 | 88667 | 17256 | -16123 | 17560 | 7386 | -6901 | 0.20095 | 840 | 5 | 0.0059524
5/28/2024 | 22 | 85250 | 16124 | -15046 | 16311 | 6901 | -6440 | 0.19428 | 1020 | 76 | 0.07451
5/28/2024 | 23 | 79833 | 14805 | -14058 | 15540 | 6337 | -6017 | 0.19682 | 601 | 25 | 0.041597
5/28/2024 | 24 | 73996 | 13766 | -13098 | 13967 | 5892 | -5606 | 0.1909 | 1077 | 126 | 0.11699
5/29/2024 | 1 | 69331 | 15716 | -14617 | 12956 | 6727 | -6256 | 0.19064 | 572 | 6 | 0.01049
5/29/2024 | 2 | 66313 | 15920 | -14596 | 12432 | 6814 | -6247 | 0.19219 | 306 | 0 | 0
5/29/2024 | 3 | 64224 | 15793 | -14297 | 12232 | 6759 | -6119 | 0.19586 | 71 | 0 | 0
5/29/2024 | 4 | 63388 | 15668 | -14174 | 12178 | 6706 | -6066 | 0.19756 | 0 | 0 | 0
5/29/2024 | 5 | 64327 | 15336 | -13828 | 12354 | 6564 | -5918 | 0.19746 | 16 | 0 | 0
5/29/2024 | 6 | 67486 | 15580 | -14098 | 12717 | 6668 | -6034 | 0.19358 | 167 | 0 | 0
5/29/2024 | 7 | 71005 | 12129 | -10821 | 11788 | 5191 | -4631 | 0.17076 | 336 | 10 | 0.029762
5/29/2024 | 8 | 74911 | 11350 | -10567 | 11149 | 4858 | -4523 | 0.15172 | 0 | 0 | 0
5/29/2024 | 9 | 77405 | 10945 | -11276 | 14499 | 4684 | -4826 | 0.18628 | 0 | 0 | 0
5/29/2024 | 10 | 76337 | 10701 | -11036 | 9651 | 4580 | -4723 | 0.1251 | 0 | 0 | 0
5/29/2024 | 11 | 74683 | 10918 | -10844 | 9829 | 4673 | -4641 | 0.13191 | 0 | 0 | 0
5/29/2024 | 12 | 75986 | 11548 | -11690 | 9910 | 4942 | -5003 | 0.12986 | 0 | 0 | 0
5/29/2024 | 13 | 76986 | 12025 | -12286 | 10170 | 5147 | -5258 | 0.1311 | 0 | 0 | 0
5/29/2024 | 14 | 79196 | 12054 | -12382 | 10426 | 5159 | -5299 | 0.13042 | 0 | 0 | 0
5/29/2024 | 15 | 81111 | 12148 | -12627 | 10995 | 5200 | -5404 | 0.13383 | 0 | 0 | 0
5/29/2024 | 16 | 84043 | 12921 | -13359 | 11566 | 5530 | -5718 | 0.13609 | 0 | 0 | 0
5/29/2024 | 17 | 86847 | 14037 | -14345 | 12183 | 6008 | -6139 | 0.13927 | 0 | 0 | 0
5/29/2024 | 18 | 89894 | 14494 | -14181 | 12432 | 6203 | -6069 | 0.1393 | 0 | 0 | 0
5/29/2024 | 19 | 91671 | 16121 | -15430 | 14425 | 6900 | -6604 | 0.15938 | 0 | 0 | 0
5/29/2024 | 20 | 91173 | 17606 | -16683 | 16506 | 7535 | -7140 | 0.18352 | 114 | 0 | 0
5/29/2024 | 21 | 88721 | 16784 | -15585 | 16720 | 7183 | -6671 | 0.19164 | 571 | 0 | 0
5/29/2024 | 22 | 85282 | 15873 | -14549 | 15974 | 6794 | -6227 | 0.19099 | 692 | 0 | 0
5/29/2024 | 23 | 79863 | 16743 | -15685 | 15446 | 7166 | -6713 | 0.19648 | 181 | 0 | 0
5/29/2024 | 24 | 74050 | 16257 | -15196 | 14172 | 6958 | -6504 | 0.19473 | 782 | 3 | 0.0038363
5/30/2024 | 1 | 69584 | 15239 | -13240 | 13295 | 6522 | -5667 | 0.19767 | 1369 | 162 | 0.11833
5/30/2024 | 2 | 66176 | 15259 | -13077 | 12924 | 6531 | -5597 | 0.20273 | 1405 | 262 | 0.18648
5/30/2024 | 3 | 64242 | 14783 | -12830 | 12536 | 6327 | -5491 | 0.20201 | 2048 | 453 | 0.22119
5/30/2024 | 4 | 63253 | 14958 | -12898 | 12617 | 6402 | -5520 | 0.20668 | 1891 | 440 | 0.23268
5/30/2024 | 5 | 63994 | 15537 | -13206 | 12739 | 6650 | -5652 | 0.20712 | 1281 | 274 | 0.2139
5/30/2024 | 6 | 66970 | 15295 | -12904 | 12891 | 6546 | -5523 | 0.2006 | 1286 | 236 | 0.18351
5/30/2024 | 7 | 71236 | 12855 | -10749 | 12285 | 5502 | -4600 | 0.1798 | 1096 | 179 | 0.16332
5/30/2024 | 8 | 74440 | 10971 | -9382 | 10784 | 4696 | -4015 | 0.1508 | 86 | 0 | 0
5/30/2024 | 9 | 75609 | 10119 | -9043 | 10133 | 4331 | -3870 | 0.13815 | 0 | 0 | 0
5/30/2024 | 10 | 75479 | 10064 | -9099 | 10286 | 4308 | -3894 | 0.13997 | 0 | 0 | 0
5/30/2024 | 11 | 75021 | 10794 | -9818 | 10631 | 4620 | -4202 | 0.14539 | 0 | 0 | 0
5/30/2024 | 12 | 75545 | 10509 | -9666 | 10749 | 4498 | -4137 | 0.14544 | 0 | 0 | 0
5/30/2024 | 13 | 76860 | 11460 | -10768 | 11128 | 4905 | -4609 | 0.14731 | 0 | 0 | 0
5/30/2024 | 14 | 79274 | 11880 | -11280 | 11800 | 5085 | -4828 | 0.15095 | 0 | 0 | 0
5/30/2024 | 15 | 81961 | 12098 | -11627 | 12877 | 5178 | -4976 | 0.15866 | 0 | 0 | 0
5/30/2024 | 16 | 85780 | 12589 | -12266 | 13768 | 5388 | -5250 | 0.1615 | 0 | 0 | 0
5/30/2024 | 17 | 89105 | 14089 | -14075 | 14446 | 6030 | -6024 | 0.16217 | 0 | 0 | 0
5/30/2024 | 18 | 92117 | 14815 | -14677 | 15752 | 6341 | -6282 | 0.17138 | 0 | 0 | 0
5/30/2024 | 19 | 93473 | 16299 | -15528 | 17546 | 6976 | -6646 | 0.18968 | 0 | 0 | 0
5/30/2024 | 20 | 91848 | 16683 | -15532 | 19599 | 7140 | -6648 | 0.21603 | 2 | 0 | 0
5/30/2024 | 21 | 89789 | 15638 | -14198 | 20961 | 6693 | -6077 | 0.23651 | 128 | 0 | 0
5/30/2024 | 22 | 85953 | 14912 | -13167 | 20123 | 6382 | -5636 | 0.23796 | 451 | 0 | 0
5/30/2024 | 23 | 80260 | 14835 | -13398 | 18931 | 6349 | -5734 | 0.23925 | 731 | 4 | 0.005472
5/30/2024 | 24 | 74172 | 14461 | -12942 | 17863 | 6189 | -5539 | 0.24459 | 704 | 6 | 0.0085227
5/31/2024 | 1 | 70610 | 13913 | -12655 | 16835 | 5955 | -5416 | 0.24175 | 784 | 22 | 0.028061
5/31/2024 | 2 | 67832 | 13586 | -12166 | 15962 | 5815 | -5207 | 0.23927 | 986 | 3 | 0.0030426
5/31/2024 | 3 | 65461 | 13925 | -12527 | 15345 | 5960 | -5362 | 0.23846 | 539 | 0 | 0
5/31/2024 | 4 | 64476 | 13820 | -12256 | 15089 | 5915 | -5246 | 0.23861 | 592 | 0 | 0
5/31/2024 | 5 | 65443 | 13931 | -12434 | 15472 | 5962 | -5322 | 0.24069 | 610 | 0 | 0
5/31/2024 | 6 | 68188 | 14044 | -12587 | 15861 | 6011 | -5387 | 0.2367 | 611 | 2 | 0.0032733
5/31/2024 | 7 | 72275 | 12477 | -11459 | 14922 | 5340 | -4905 | 0.20953 | 512 | 3 | 0.0058594
5/31/2024 | 8 | 75972 | 10880 | -10216 | 12605 | 4656 | -4372 | 0.16818 | 201 | 0 | 0
5/31/2024 | 9 | 77842 | 10866 | -10525 | 11923 | 4651 | -4505 | 0.15437 | 0 | 0 | 0
5/31/2024 | 10 | 78077 | 10800 | -10547 | 11824 | 4623 | -4514 | 0.15234 | 0 | 0 | 0
5/31/2024 | 11 | 78400 | 11249 | -11162 | 11921 | 4815 | -4777 | 0.15237 | 0 | 0 | 0
5/31/2024 | 12 | 78804 | 11315 | -11206 | 12594 | 4843 | -4796 | 0.16019 | 0 | 0 | 0
5/31/2024 | 13 | 80137 | 11771 | -11571 | 13136 | 5038 | -4952 | 0.16458 | 0 | 0 | 0
5/31/2024 | 14 | 82403 | 11930 | -11688 | 13675 | 5106 | -5002 | 0.16673 | 0 | 0 | 0
5/31/2024 | 15 | 85367 | 12489 | -12294 | 14443 | 5345 | -5262 | 0.16977 | 0 | 0 | 0
5/31/2024 | 16 | 88675 | 13269 | -13024 | 14957 | 5679 | -5574 | 0.16939 | 0 | 0 | 0
5/31/2024 | 17 | 90921 | 14135 | -13612 | 15388 | 6050 | -5826 | 0.17073 | 0 | 0 | 0
5/31/2024 | 18 | 93920 | 14372 | -13861 | 16321 | 6151 | -5933 | 0.17514 | 0 | 0 | 0
5/31/2024 | 19 | 94991 | 14603 | -13660 | 18531 | 6250 | -5847 | 0.19736 | 0 | 0 | 0
5/31/2024 | 20 | 92907 | 14660 | -13424 | 20939 | 6275 | -5745 | 0.22805 | 254 | 0 | 0
5/31/2024 | 21 | 90282 | 13549 | -12354 | 21374 | 5799 | -5288 | 0.23924 | 769 | 0 | 0
5/31/2024 | 22 | 86417 | 12638 | -11283 | 20443 | 5409 | -4829 | 0.23952 | 728 | 5 | 0.0068681
5/31/2024 | 23 | 80806 | 13032 | -11713 | 19161 | 5578 | -5013 | 0.24019 | 576 | 11 | 0.019097
5/31/2024 | 24 | 75453 | 12686 | -11704 | 17744 | 5429 | -5009 | 0.23764 | 612 | 1 | 0.001634