## KEY
Average Emissions Rate Calculation
Background:
The CAISO is publishing this metric of an average emissions rate (AER) based on the discussion in the GHG working groups. CAISO discussed the metric at the November 27, 2023 GHG Coordination Working Group. A brief explanation of the methodology is included below:
Methodology:
1) Which resources are reflected in this example AER metric (all schedules are from the 5-minute market)
- All supply resources are included
- All demand response resources are excluded
- All energy storage resources are included (emissions rate used is 0 MTCO2e/MWh)
- Resources that were attributed to serve California are included
2) The AER measures all schedules ie. The total dispatach of the resources and not relative to WEIM base schedule
3) Bilateral transactions are included (emissions rate used is 0.428 MTCO2e/MWh) unless they are resource specific.
4) CAISO filled in missing heat rate and emissions rate data by using wtd averages from existing data
Key
TRADE_DT | Trade date of the reported data in MM/DD/YYYY format
TRADE_HR | Trade hour of the reported data. Data is reported as the "hour-ending", e.g. TRADE_HR = 2 is for the hour-ending 1:59:59AM Pacific time
GEN_MWH | MWh of electricity generation in the WEIM area* (including CAISO)
IMP_MWH | MWh of electricity imports into the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
EXP_MWH | MWh of electricity exports from the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
GEN_GHG | Greenhouse gas emissions in MTCO2e of electricity generation in the WEIM area
IMP_GHG | Greenhouse gas emissions in MTCO2e of electricity imports into the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
EXP_GHG | Greenhouse gas emissions in MTCO2e of electricity exports from the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
AVG_EM_RATE | Average emissions rate calculated as columns G through I divided by columns C through E
ATTR_MWH | MWh of WEIM transfers into California which, by definition, is equal to the sum of the GHG attributions
ATTR_GHG | Greenhouse gas emissions in MTCO2e of WEIM transfers into California (resource-specific)
ATTR_AVG_EM_RATE | Average emissions rate of WEIM transfers into California
CAISO PUBLIC

## AER_SUMMARY
TRADE_DT | TRADE_HR | GEN_MWH | IMP_MWH | EXP_MWH | GEN_GHG | IMP_GHG | EXP_GHG | AVG_EM_RATE | ATTR_MWH | ATTR_GHG | ATTR_AVG_EM_RATE
5/1/2025 | 1 | 64934 | 10554 | -8775 | 16694 | 4517 | -3755 | 0.262 | 629 | 61 | 0.097
5/1/2025 | 2 | 62642 | 10503 | -8600 | 16398 | 4495 | -3680 | 0.267 | 596 | 63 | 0.106
5/1/2025 | 3 | 61086 | 10305 | -8351 | 16372 | 4411 | -3574 | 0.273 | 534 | 32 | 0.06
5/1/2025 | 4 | 60284 | 10536 | -8242 | 16188 | 4510 | -3528 | 0.274 | 435 | 2 | 0.005
5/1/2025 | 5 | 62111 | 10419 | -8236 | 16464 | 4460 | -3525 | 0.271 | 620 | 72 | 0.116
5/1/2025 | 6 | 66133 | 10617 | -8555 | 16520 | 4544 | -3662 | 0.255 | 569 | 37 | 0.065
5/1/2025 | 7 | 70596 | 11127 | -9328 | 16527 | 4762 | -3992 | 0.239 | 1254 | 242 | 0.193
5/1/2025 | 8 | 72685 | 10657 | -9535 | 13788 | 4561 | -4081 | 0.193 | 529 | 91 | 0.172
5/1/2025 | 9 | 72532 | 10879 | -9920 | 11385 | 4656 | -4246 | 0.16 | 0 | 0 | 0
5/1/2025 | 10 | 70531 | 10904 | -10023 | 10522 | 4667 | -4290 | 0.153 | 0 | 0 | 0
5/1/2025 | 11 | 68892 | 10692 | -9774 | 10264 | 4576 | -4183 | 0.153 | 0 | 0 | 0
5/1/2025 | 12 | 67576 | 10518 | -9547 | 10170 | 4502 | -4086 | 0.154 | 0 | 0 | 0
5/1/2025 | 13 | 67633 | 10555 | -9727 | 10450 | 4518 | -4164 | 0.158 | 0 | 0 | 0
5/1/2025 | 14 | 68607 | 10722 | -10004 | 10227 | 4589 | -4282 | 0.152 | 0 | 0 | 0
5/1/2025 | 15 | 70946 | 10921 | -10691 | 10421 | 4674 | -4576 | 0.148 | 0 | 0 | 0
5/1/2025 | 16 | 74347 | 11283 | -11310 | 10970 | 4829 | -4841 | 0.147 | 0 | 0 | 0
5/1/2025 | 17 | 77602 | 11632 | -11454 | 11896 | 4978 | -4902 | 0.154 | 0 | 0 | 0
5/1/2025 | 18 | 80482 | 12159 | -11434 | 13410 | 5204 | -4894 | 0.169 | 29 | 0 | 0
5/1/2025 | 19 | 83174 | 13045 | -12071 | 16302 | 5583 | -5166 | 0.199 | 837 | 63 | 0.075
5/1/2025 | 20 | 83593 | 12877 | -11836 | 18058 | 5511 | -5066 | 0.219 | 857 | 17 | 0.02
5/1/2025 | 21 | 81886 | 12626 | -10972 | 18398 | 5404 | -4696 | 0.229 | 585 | 6 | 0.01
5/1/2025 | 22 | 78494 | 12560 | -10362 | 18368 | 5376 | -4435 | 0.239 | 515 | 33 | 0.064
5/1/2025 | 23 | 72715 | 12212 | -9505 | 17976 | 5227 | -4068 | 0.254 | 377 | 60 | 0.159
5/1/2025 | 24 | 67829 | 11951 | -9358 | 17698 | 5115 | -4005 | 0.267 | 1068 | 93 | 0.087
5/2/2025 | 1 | 64230 | 11916 | -9196 | 16924 | 5100 | -3936 | 0.27 | 790 | 38 | 0.048
5/2/2025 | 2 | 61534 | 11605 | -8769 | 16208 | 4967 | -3753 | 0.271 | 850 | 122 | 0.144
5/2/2025 | 3 | 59519 | 11468 | -8656 | 15799 | 4908 | -3705 | 0.273 | 430 | 9 | 0.021
5/2/2025 | 4 | 59037 | 11268 | -8397 | 15590 | 4823 | -3594 | 0.272 | 346 | 0 | 0
5/2/2025 | 5 | 60424 | 11290 | -8548 | 15554 | 4832 | -3658 | 0.265 | 424 | 14 | 0.033
5/2/2025 | 6 | 64419 | 11620 | -9047 | 15385 | 4973 | -3872 | 0.246 | 497 | 16 | 0.032
5/2/2025 | 7 | 68325 | 11393 | -9057 | 14294 | 4876 | -3876 | 0.216 | 1155 | 261 | 0.226
5/2/2025 | 8 | 71769 | 10890 | -9383 | 11129 | 4661 | -4016 | 0.161 | 201 | 4 | 0.02
5/2/2025 | 9 | 73138 | 10844 | -9961 | 9753 | 4641 | -4264 | 0.137 | 0 | 0 | 0
5/2/2025 | 10 | 72742 | 10641 | -10148 | 9566 | 4554 | -4343 | 0.134 | 0 | 0 | 0
5/2/2025 | 11 | 70638 | 10528 | -10099 | 9223 | 4506 | -4322 | 0.132 | 0 | 0 | 0
5/2/2025 | 12 | 69336 | 10626 | -10081 | 9332 | 4548 | -4314 | 0.137 | 0 | 0 | 0
5/2/2025 | 13 | 68776 | 10553 | -9877 | 9574 | 4516 | -4227 | 0.142 | 0 | 0 | 0
5/2/2025 | 14 | 68398 | 11104 | -10219 | 9603 | 4752 | -4374 | 0.144 | 0 | 0 | 0
5/2/2025 | 15 | 69742 | 11258 | -10215 | 9607 | 4818 | -4372 | 0.142 | 0 | 0 | 0
5/2/2025 | 16 | 72106 | 11617 | -10828 | 9733 | 4972 | -4634 | 0.138 | 0 | 0 | 0
5/2/2025 | 17 | 74867 | 11724 | -11075 | 10796 | 5018 | -4740 | 0.147 | 0 | 0 | 0
5/2/2025 | 18 | 79013 | 12684 | -12018 | 11728 | 5429 | -5143 | 0.151 | 0 | 0 | 0
5/2/2025 | 19 | 81753 | 13183 | -12452 | 14792 | 5642 | -5330 | 0.183 | 16 | 0 | 0
5/2/2025 | 20 | 82027 | 13507 | -12744 | 16358 | 5781 | -5454 | 0.202 | 484 | 62 | 0.128
5/2/2025 | 21 | 80892 | 14002 | -13021 | 15910 | 5993 | -5573 | 0.199 | 495 | 9 | 0.018
5/2/2025 | 22 | 77596 | 13966 | -12650 | 15473 | 5978 | -5414 | 0.203 | 737 | 107 | 0.145
5/2/2025 | 23 | 72957 | 13395 | -11862 | 15162 | 5733 | -5077 | 0.212 | 578 | 79 | 0.137
5/2/2025 | 24 | 68258 | 13144 | -11441 | 14504 | 5626 | -4897 | 0.218 | 697 | 124 | 0.178
5/3/2025 | 1 | 65872 | 13264 | -11409 | 14173 | 5677 | -4883 | 0.221 | 886 | 174 | 0.196
5/3/2025 | 2 | 63120 | 13232 | -11178 | 13277 | 5664 | -4784 | 0.217 | 706 | 91 | 0.129
5/3/2025 | 3 | 60934 | 13205 | -11141 | 12816 | 5652 | -4768 | 0.217 | 557 | 40 | 0.072
5/3/2025 | 4 | 59722 | 13154 | -11073 | 13137 | 5630 | -4739 | 0.227 | 456 | 35 | 0.077
5/3/2025 | 5 | 59713 | 13002 | -10966 | 13102 | 5565 | -4694 | 0.226 | 304 | 2 | 0.007
5/3/2025 | 6 | 61069 | 12819 | -11033 | 13140 | 5487 | -4722 | 0.221 | 501 | 20 | 0.04
5/3/2025 | 7 | 62248 | 12150 | -10363 | 12224 | 5200 | -4435 | 0.203 | 1431 | 298 | 0.208
5/3/2025 | 8 | 64954 | 11717 | -10568 | 9323 | 5015 | -4523 | 0.148 | 493 | 97 | 0.197
5/3/2025 | 9 | 68494 | 11352 | -11162 | 8661 | 4859 | -4777 | 0.127 | 504 | 0 | 0
5/3/2025 | 10 | 69700 | 11487 | -11799 | 8997 | 4916 | -5050 | 0.128 | 88 | 0 | 0
5/3/2025 | 11 | 69984 | 11336 | -11445 | 8738 | 4852 | -4899 | 0.124 | 0 | 0 | 0
5/3/2025 | 12 | 69652 | 10716 | -10875 | 8902 | 4587 | -4655 | 0.127 | 0 | 0 | 0
5/3/2025 | 13 | 69554 | 11118 | -11411 | 8886 | 4759 | -4884 | 0.126 | 0 | 0 | 0
5/3/2025 | 14 | 69069 | 10425 | -10906 | 9297 | 4462 | -4668 | 0.133 | 0 | 0 | 0
5/3/2025 | 15 | 69999 | 10608 | -11292 | 9364 | 4540 | -4833 | 0.131 | 0 | 0 | 0
5/3/2025 | 16 | 71496 | 11584 | -12304 | 10014 | 4958 | -5266 | 0.137 | 0 | 0 | 0
5/3/2025 | 17 | 72397 | 12484 | -12935 | 10724 | 5343 | -5536 | 0.146 | 0 | 0 | 0
5/3/2025 | 18 | 74597 | 12881 | -12549 | 12150 | 5513 | -5371 | 0.164 | 0 | 0 | 0
5/3/2025 | 19 | 75708 | 13046 | -11982 | 13710 | 5584 | -5128 | 0.185 | 139 | 0 | 0
5/3/2025 | 20 | 75592 | 12980 | -11645 | 14040 | 5555 | -4984 | 0.19 | 514 | 52 | 0.101
5/3/2025 | 21 | 75321 | 13372 | -11615 | 13728 | 5723 | -4972 | 0.188 | 617 | 63 | 0.102
5/3/2025 | 22 | 72888 | 13284 | -11063 | 13962 | 5685 | -4735 | 0.199 | 482 | 30 | 0.062
5/3/2025 | 23 | 69017 | 13595 | -11169 | 13814 | 5819 | -4780 | 0.208 | 200 | 0 | 0
5/3/2025 | 24 | 66151 | 13592 | -11129 | 13913 | 5817 | -4763 | 0.218 | 332 | 8 | 0.024
5/4/2025 | 1 | 63451 | 13244 | -10726 | 13052 | 5668 | -4591 | 0.214 | 564 | 28 | 0.05
5/4/2025 | 2 | 61503 | 13641 | -11062 | 12994 | 5838 | -4735 | 0.22 | 442 | 0 | 0
5/4/2025 | 3 | 60223 | 13358 | -10830 | 12804 | 5717 | -4635 | 0.221 | 400 | 0 | 0
5/4/2025 | 4 | 59229 | 13036 | -10381 | 13011 | 5579 | -4443 | 0.229 | 413 | 0 | 0
5/4/2025 | 5 | 59286 | 12885 | -10258 | 13193 | 5515 | -4391 | 0.231 | 257 | 0 | 0
5/4/2025 | 6 | 60333 | 12971 | -10051 | 13324 | 5552 | -4302 | 0.23 | 301 | 8 | 0.027
5/4/2025 | 7 | 61848 | 12357 | -9851 | 13519 | 5289 | -4216 | 0.227 | 451 | 65 | 0.144
5/4/2025 | 8 | 63956 | 10408 | -8797 | 11828 | 4455 | -3765 | 0.191 | 124 | 0 | 0
5/4/2025 | 9 | 64806 | 9517 | -8391 | 9844 | 4073 | -3592 | 0.157 | 0 | 0 | 0
5/4/2025 | 10 | 63496 | 9709 | -8441 | 9438 | 4155 | -3613 | 0.154 | 0 | 0 | 0
5/4/2025 | 11 | 62948 | 9805 | -9041 | 9305 | 4197 | -3870 | 0.151 | 0 | 0 | 0
5/4/2025 | 12 | 61723 | 10021 | -9541 | 8908 | 4289 | -4084 | 0.147 | 0 | 0 | 0
5/4/2025 | 13 | 61956 | 9657 | -9401 | 8716 | 4133 | -4024 | 0.142 | 0 | 0 | 0
5/4/2025 | 14 | 62732 | 9788 | -9474 | 8436 | 4189 | -4055 | 0.136 | 0 | 0 | 0
5/4/2025 | 15 | 63884 | 9885 | -9829 | 9057 | 4231 | -4207 | 0.142 | 0 | 0 | 0
5/4/2025 | 16 | 65400 | 10146 | -9987 | 9464 | 4343 | -4274 | 0.145 | 0 | 0 | 0
5/4/2025 | 17 | 68511 | 11200 | -10931 | 10802 | 4794 | -4679 | 0.159 | 207 | 0 | 0
5/4/2025 | 18 | 71770 | 10223 | -9694 | 11654 | 4375 | -4149 | 0.164 | 829 | 112 | 0.135
5/4/2025 | 19 | 72732 | 11912 | -10804 | 13119 | 5098 | -4624 | 0.184 | 1092 | 97 | 0.089
5/4/2025 | 20 | 74547 | 11514 | -10544 | 14080 | 4928 | -4513 | 0.192 | 1363 | 280 | 0.205
5/4/2025 | 21 | 75224 | 11764 | -10921 | 14610 | 5035 | -4674 | 0.197 | 1687 | 326 | 0.193
5/4/2025 | 22 | 73637 | 11170 | -10358 | 14786 | 4781 | -4433 | 0.203 | 1766 | 420 | 0.238
5/4/2025 | 23 | 69117 | 10730 | -9521 | 14205 | 4592 | -4075 | 0.209 | 1258 | 290 | 0.231
5/4/2025 | 24 | 64566 | 11087 | -9445 | 14097 | 4745 | -4042 | 0.224 | 1055 | 232 | 0.22
5/5/2025 | 1 | 62085 | 10854 | -8678 | 14504 | 4646 | -3714 | 0.24 | 644 | 67 | 0.104
5/5/2025 | 2 | 59929 | 11105 | -8634 | 13886 | 4753 | -3696 | 0.239 | 448 | 40 | 0.089
5/5/2025 | 3 | 59019 | 11379 | -8879 | 13863 | 4870 | -3800 | 0.243 | 306 | 0 | 0
5/5/2025 | 4 | 59070 | 11586 | -9063 | 14088 | 4959 | -3879 | 0.246 | 100 | 0 | 0
5/5/2025 | 5 | 61497 | 11246 | -8887 | 14578 | 4813 | -3804 | 0.244 | 241 | 0 | 0
5/5/2025 | 6 | 66505 | 10910 | -8890 | 14897 | 4670 | -3805 | 0.23 | 324 | 0 | 0
5/5/2025 | 7 | 71102 | 11154 | -9469 | 14736 | 4774 | -4053 | 0.212 | 583 | 16 | 0.027
5/5/2025 | 8 | 74340 | 10534 | -9282 | 14257 | 4508 | -3973 | 0.196 | 897 | 151 | 0.168
5/5/2025 | 9 | 73700 | 10842 | -9806 | 13754 | 4640 | -4197 | 0.19 | 550 | 13 | 0.024
5/5/2025 | 10 | 71793 | 11618 | -10307 | 12207 | 4973 | -4412 | 0.175 | 518 | 19 | 0.037
5/5/2025 | 11 | 70562 | 11189 | -9921 | 11165 | 4789 | -4246 | 0.163 | 410 | 0 | 0
5/5/2025 | 12 | 69319 | 10905 | -9711 | 11281 | 4667 | -4156 | 0.167 | 426 | 0 | 0
5/5/2025 | 13 | 69407 | 10678 | -10059 | 10414 | 4570 | -4306 | 0.152 | 84 | 0 | 0
5/5/2025 | 14 | 70258 | 10502 | -9759 | 10845 | 4495 | -4177 | 0.157 | 0 | 0 | 0
5/5/2025 | 15 | 70517 | 10503 | -9980 | 11487 | 4495 | -4272 | 0.165 | 45 | 0 | 0
5/5/2025 | 16 | 72587 | 10788 | -10449 | 12284 | 4618 | -4472 | 0.17 | 424 | 0 | 0
5/5/2025 | 17 | 73384 | 11378 | -10491 | 12267 | 4870 | -4490 | 0.17 | 494 | 29 | 0.059
5/5/2025 | 18 | 76043 | 11489 | -10957 | 12472 | 4917 | -4690 | 0.166 | 483 | 12 | 0.025
5/5/2025 | 19 | 78917 | 12414 | -11926 | 13664 | 5313 | -5104 | 0.175 | 890 | 177 | 0.199
5/5/2025 | 20 | 80203 | 11986 | -11400 | 14809 | 5130 | -4879 | 0.186 | 1596 | 443 | 0.278
5/5/2025 | 21 | 79828 | 12289 | -11397 | 15316 | 5260 | -4878 | 0.194 | 2152 | 729 | 0.339
5/5/2025 | 22 | 77092 | 11652 | -10654 | 15514 | 4987 | -4560 | 0.204 | 2467 | 890 | 0.361
5/5/2025 | 23 | 72289 | 10541 | -9596 | 15643 | 4512 | -4107 | 0.219 | 2036 | 620 | 0.305
5/5/2025 | 24 | 67390 | 10756 | -9208 | 15659 | 4604 | -3941 | 0.237 | 1939 | 559 | 0.288
5/6/2025 | 1 | 64924 | 10268 | -8592 | 15421 | 4395 | -3678 | 0.242 | 984 | 263 | 0.267
5/6/2025 | 2 | 62682 | 10044 | -8515 | 15349 | 4299 | -3645 | 0.249 | 910 | 218 | 0.24
5/6/2025 | 3 | 61066 | 9840 | -8360 | 15163 | 4212 | -3578 | 0.253 | 795 | 153 | 0.192
5/6/2025 | 4 | 60555 | 9643 | -8175 | 15266 | 4127 | -3499 | 0.256 | 708 | 135 | 0.191
5/6/2025 | 5 | 61964 | 9497 | -8023 | 15553 | 4064 | -3434 | 0.255 | 442 | 32 | 0.072
5/6/2025 | 6 | 65605 | 10099 | -8319 | 15754 | 4322 | -3560 | 0.245 | 410 | 0 | 0
5/6/2025 | 7 | 70164 | 10920 | -9065 | 15878 | 4674 | -3880 | 0.231 | 913 | 69 | 0.076
5/6/2025 | 8 | 72668 | 10460 | -9024 | 14062 | 4477 | -3862 | 0.198 | 95 | 0 | 0
5/6/2025 | 9 | 72328 | 10302 | -9280 | 12019 | 4409 | -3972 | 0.17 | 0 | 0 | 0
5/6/2025 | 10 | 70826 | 11313 | -9886 | 10526 | 4842 | -4231 | 0.154 | 0 | 0 | 0
5/6/2025 | 11 | 68818 | 11674 | -9942 | 9423 | 4997 | -4255 | 0.144 | 0 | 0 | 0
5/6/2025 | 12 | 68713 | 12518 | -10488 | 9658 | 5358 | -4489 | 0.149 | 0 | 0 | 0
5/6/2025 | 13 | 67849 | 12698 | -10448 | 9320 | 5435 | -4472 | 0.147 | 0 | 0 | 0
5/6/2025 | 14 | 68604 | 12655 | -10288 | 9271 | 5416 | -4403 | 0.145 | 0 | 0 | 0
5/6/2025 | 15 | 69494 | 12724 | -10750 | 9470 | 5446 | -4601 | 0.144 | 0 | 0 | 0
5/6/2025 | 16 | 71476 | 12873 | -10891 | 10334 | 5510 | -4661 | 0.152 | 0 | 0 | 0
5/6/2025 | 17 | 73404 | 13616 | -11743 | 10386 | 5827 | -5026 | 0.149 | 0 | 0 | 0
5/6/2025 | 18 | 76014 | 13819 | -11834 | 12000 | 5914 | -5065 | 0.165 | 185 | 0 | 0
5/6/2025 | 19 | 77360 | 13048 | -10965 | 14133 | 5584 | -4693 | 0.189 | 991 | 150 | 0.151
5/6/2025 | 20 | 78842 | 13701 | -11478 | 16114 | 5864 | -4913 | 0.211 | 1105 | 122 | 0.11
5/6/2025 | 21 | 78290 | 13636 | -11174 | 16582 | 5836 | -4782 | 0.218 | 1221 | 162 | 0.133
5/6/2025 | 22 | 74963 | 13039 | -9989 | 16609 | 5581 | -4275 | 0.23 | 1033 | 117 | 0.113
5/6/2025 | 23 | 70300 | 11916 | -8892 | 16826 | 5100 | -3805 | 0.247 | 1287 | 195 | 0.152
5/6/2025 | 24 | 65547 | 11748 | -8801 | 16432 | 5028 | -3767 | 0.258 | 1407 | 251 | 0.178
5/7/2025 | 1 | 62670 | 13318 | -10147 | 16204 | 5700 | -4343 | 0.267 | 872 | 96 | 0.11
5/7/2025 | 2 | 60643 | 13050 | -9992 | 16131 | 5585 | -4277 | 0.274 | 637 | 91 | 0.143
5/7/2025 | 3 | 58809 | 12916 | -9940 | 15893 | 5528 | -4254 | 0.278 | 455 | 34 | 0.075
5/7/2025 | 4 | 58423 | 12730 | -9790 | 15855 | 5449 | -4190 | 0.279 | 360 | 16 | 0.044
5/7/2025 | 5 | 59874 | 12781 | -9831 | 15913 | 5470 | -4208 | 0.273 | 540 | 46 | 0.085
5/7/2025 | 6 | 62693 | 13182 | -9910 | 15843 | 5642 | -4242 | 0.261 | 562 | 60 | 0.107
5/7/2025 | 7 | 67378 | 11956 | -9046 | 15398 | 5117 | -3872 | 0.237 | 632 | 51 | 0.081
5/7/2025 | 8 | 69846 | 10942 | -8767 | 12277 | 4683 | -3752 | 0.183 | 312 | 25 | 0.08
5/7/2025 | 9 | 69497 | 11047 | -9356 | 9982 | 4728 | -4004 | 0.15 | 0 | 0 | 0
5/7/2025 | 10 | 68053 | 10884 | -9096 | 9404 | 4658 | -3893 | 0.146 | 0 | 0 | 0
5/7/2025 | 11 | 66414 | 10884 | -9060 | 8628 | 4658 | -3878 | 0.138 | 0 | 0 | 0
5/7/2025 | 12 | 64486 | 10838 | -8887 | 8245 | 4638 | -3804 | 0.137 | 0 | 0 | 0
5/7/2025 | 13 | 64362 | 11725 | -9714 | 8103 | 5018 | -4158 | 0.135 | 0 | 0 | 0
5/7/2025 | 14 | 65062 | 11602 | -9553 | 8123 | 4966 | -4089 | 0.134 | 0 | 0 | 0
5/7/2025 | 15 | 66808 | 11890 | -10049 | 8178 | 5089 | -4301 | 0.131 | 0 | 0 | 0
5/7/2025 | 16 | 69879 | 12091 | -10726 | 8683 | 5175 | -4591 | 0.13 | 0 | 0 | 0
5/7/2025 | 17 | 73206 | 12524 | -11550 | 9754 | 5360 | -4943 | 0.137 | 0 | 0 | 0
5/7/2025 | 18 | 77014 | 12909 | -12055 | 10915 | 5525 | -5159 | 0.145 | 0 | 0 | 0
5/7/2025 | 19 | 79562 | 14773 | -13767 | 12965 | 6323 | -5892 | 0.166 | 476 | 0 | 0
5/7/2025 | 20 | 80927 | 15084 | -13868 | 14788 | 6456 | -5935 | 0.186 | 720 | 77 | 0.107
5/7/2025 | 21 | 80637 | 15191 | -13755 | 14748 | 6502 | -5887 | 0.187 | 536 | 47 | 0.088
5/7/2025 | 22 | 77643 | 14214 | -12212 | 14677 | 6084 | -5227 | 0.195 | 605 | 73 | 0.121
5/7/2025 | 23 | 72172 | 15585 | -13020 | 14447 | 6670 | -5572 | 0.208 | 684 | 84 | 0.123
5/7/2025 | 24 | 67429 | 15477 | -12992 | 14201 | 6624 | -5560 | 0.218 | 1054 | 315 | 0.299
5/8/2025 | 1 | 64635 | 14612 | -11861 | 13706 | 6254 | -5077 | 0.221 | 1305 | 378 | 0.29
5/8/2025 | 2 | 62626 | 14347 | -11757 | 13615 | 6140 | -5032 | 0.226 | 1227 | 396 | 0.323
5/8/2025 | 3 | 60453 | 14254 | -11382 | 13200 | 6101 | -4872 | 0.228 | 1331 | 437 | 0.328
5/8/2025 | 4 | 59968 | 14319 | -11486 | 13392 | 6128 | -4916 | 0.233 | 1183 | 386 | 0.326
5/8/2025 | 5 | 61185 | 14415 | -11682 | 13511 | 6170 | -4999 | 0.23 | 913 | 278 | 0.304
5/8/2025 | 6 | 65109 | 14854 | -12088 | 13766 | 6358 | -5174 | 0.22 | 577 | 98 | 0.17
5/8/2025 | 7 | 69270 | 14816 | -12165 | 13057 | 6341 | -5206 | 0.197 | 860 | 168 | 0.195
5/8/2025 | 8 | 71174 | 13655 | -11431 | 10217 | 5844 | -4892 | 0.152 | 137 | 20 | 0.146
5/8/2025 | 9 | 70105 | 12620 | -10355 | 8952 | 5401 | -4432 | 0.137 | 0 | 0 | 0
5/8/2025 | 10 | 68675 | 12928 | -10388 | 8607 | 5533 | -4446 | 0.136 | 0 | 0 | 0
5/8/2025 | 11 | 67438 | 12412 | -10199 | 8385 | 5312 | -4365 | 0.134 | 0 | 0 | 0
5/8/2025 | 12 | 67551 | 12619 | -10528 | 8261 | 5401 | -4506 | 0.131 | 0 | 0 | 0
5/8/2025 | 13 | 67949 | 13103 | -10899 | 8320 | 5608 | -4664 | 0.132 | 0 | 0 | 0
5/8/2025 | 14 | 69445 | 13167 | -11008 | 8514 | 5636 | -4711 | 0.132 | 0 | 0 | 0
5/8/2025 | 15 | 72604 | 13453 | -11328 | 9849 | 5758 | -4848 | 0.144 | 0 | 0 | 0
5/8/2025 | 17 | 79327 | 13900 | -11793 | 11695 | 5949 | -5048 | 0.155 | 58 | 0 | 0
5/8/2025 | 18 | 83139 | 13035 | -11457 | 13522 | 5579 | -4904 | 0.168 | 207 | 4 | 0.019
5/8/2025 | 19 | 85972 | 13685 | -12285 | 16451 | 5857 | -5258 | 0.195 | 336 | 8 | 0.024
5/8/2025 | 20 | 85851 | 14058 | -12335 | 18318 | 6017 | -5280 | 0.218 | 236 | 2 | 0.008
5/8/2025 | 21 | 84822 | 14208 | -12408 | 18618 | 6081 | -5311 | 0.224 | 424 | 48 | 0.113
5/8/2025 | 22 | 81385 | 13431 | -11341 | 18602 | 5748 | -4854 | 0.234 | 901 | 309 | 0.343
5/8/2025 | 23 | 76580 | 13679 | -11551 | 18392 | 5854 | -4944 | 0.245 | 1258 | 263 | 0.209
5/8/2025 | 24 | 71061 | 12977 | -10738 | 17914 | 5554 | -4596 | 0.257 | 1518 | 436 | 0.287
5/9/2025 | 1 | 67634 | 11227 | -8867 | 16995 | 4805 | -3795 | 0.257 | 1617 | 475 | 0.294
5/9/2025 | 2 | 64906 | 11045 | -8505 | 16616 | 4727 | -3640 | 0.262 | 1713 | 734 | 0.428
5/9/2025 | 3 | 62273 | 10274 | -7875 | 16268 | 4397 | -3370 | 0.267 | 1313 | 410 | 0.312
5/9/2025 | 4 | 61614 | 10364 | -8035 | 16041 | 4436 | -3439 | 0.266 | 1194 | 323 | 0.271
5/9/2025 | 5 | 63020 | 10694 | -8514 | 16345 | 4577 | -3644 | 0.265 | 1306 | 490 | 0.375
5/9/2025 | 6 | 66554 | 11672 | -9603 | 16870 | 4996 | -4110 | 0.259 | 1453 | 615 | 0.423
5/9/2025 | 7 | 70358 | 12524 | -10666 | 14945 | 5360 | -4565 | 0.218 | 1862 | 716 | 0.385
5/9/2025 | 8 | 73214 | 12825 | -11086 | 10730 | 5489 | -4745 | 0.153 | 1111 | 316 | 0.284
5/9/2025 | 9 | 73666 | 12809 | -11283 | 9831 | 5482 | -4829 | 0.139 | 297 | 0 | 0
5/9/2025 | 10 | 72434 | 12310 | -10283 | 10164 | 5269 | -4401 | 0.148 | 120 | 0 | 0
5/9/2025 | 11 | 71639 | 12277 | -10292 | 10264 | 5254 | -4405 | 0.151 | 0 | 0 | 0
5/9/2025 | 12 | 72579 | 12658 | -10632 | 10521 | 5418 | -4550 | 0.153 | 0 | 0 | 0
5/9/2025 | 13 | 75217 | 13255 | -11459 | 11208 | 5673 | -4904 | 0.156 | 100 | 0 | 0
5/9/2025 | 14 | 78142 | 13359 | -11832 | 11851 | 5717 | -5064 | 0.157 | 358 | 0 | 0
5/9/2025 | 15 | 81670 | 13922 | -12454 | 12317 | 5959 | -5330 | 0.156 | 274 | 5 | 0.018
5/9/2025 | 16 | 85666 | 13590 | -12179 | 13206 | 5816 | -5212 | 0.159 | 439 | 67 | 0.153
5/9/2025 | 17 | 90457 | 13712 | -12427 | 14250 | 5869 | -5319 | 0.161 | 342 | 41 | 0.12
5/9/2025 | 18 | 93447 | 14566 | -13197 | 15810 | 6234 | -5648 | 0.173 | 838 | 102 | 0.122
5/9/2025 | 19 | 94390 | 14998 | -13640 | 18276 | 6419 | -5838 | 0.197 | 869 | 99 | 0.114
5/9/2025 | 20 | 92658 | 15639 | -14068 | 19974 | 6694 | -6022 | 0.219 | 733 | 92 | 0.126
5/9/2025 | 21 | 89216 | 15491 | -13734 | 19820 | 6630 | -5878 | 0.226 | 1848 | 609 | 0.33
5/9/2025 | 22 | 85227 | 14630 | -12499 | 19297 | 6262 | -5350 | 0.231 | 2405 | 1062 | 0.442
5/9/2025 | 23 | 79782 | 13040 | -10792 | 18706 | 5581 | -4619 | 0.24 | 1895 | 484 | 0.255
5/9/2025 | 24 | 74167 | 12754 | -10217 | 18770 | 5459 | -4373 | 0.259 | 1968 | 511 | 0.26
5/10/2025 | 1 | 69856 | 13088 | -10391 | 17513 | 5601 | -4447 | 0.257 | 1981 | 662 | 0.334
5/10/2025 | 2 | 66393 | 12926 | -10090 | 16572 | 5532 | -4319 | 0.257 | 1278 | 428 | 0.335
5/10/2025 | 3 | 63094 | 12553 | -9643 | 15735 | 5373 | -4127 | 0.257 | 775 | 169 | 0.218
5/10/2025 | 4 | 61419 | 12410 | -9400 | 15179 | 5312 | -4023 | 0.256 | 680 | 159 | 0.234
5/10/2025 | 5 | 61077 | 12916 | -9800 | 14782 | 5528 | -4194 | 0.251 | 684 | 110 | 0.161
5/10/2025 | 6 | 62020 | 12983 | -10017 | 14217 | 5557 | -4288 | 0.238 | 763 | 160 | 0.21
5/10/2025 | 7 | 62966 | 12961 | -10524 | 11950 | 5547 | -4504 | 0.199 | 1212 | 289 | 0.238
5/10/2025 | 8 | 64652 | 11824 | -9915 | 8942 | 5060 | -4244 | 0.147 | 393 | 85 | 0.216
5/10/2025 | 9 | 67135 | 11436 | -9915 | 8191 | 4895 | -4244 | 0.129 | 0 | 0 | 0
5/10/2025 | 10 | 68148 | 12064 | -10608 | 8268 | 5163 | -4540 | 0.128 | 49 | 0 | 0
5/10/2025 | 11 | 69802 | 12386 | -11183 | 8272 | 5301 | -4786 | 0.124 | 0 | 0 | 0
5/10/2025 | 12 | 71083 | 12235 | -11088 | 8153 | 5236 | -4746 | 0.12 | 0 | 0 | 0
5/10/2025 | 13 | 73722 | 12628 | -11543 | 8910 | 5405 | -4940 | 0.125 | 0 | 0 | 0
5/10/2025 | 14 | 76635 | 12257 | -11074 | 9585 | 5246 | -4740 | 0.13 | 0 | 0 | 0
5/10/2025 | 15 | 80145 | 12913 | -11613 | 10569 | 5527 | -4971 | 0.137 | 36 | 0 | 0
5/10/2025 | 16 | 83801 | 14122 | -12688 | 11377 | 6044 | -5431 | 0.141 | 28 | 0 | 0
5/10/2025 | 17 | 87463 | 15670 | -13999 | 12610 | 6707 | -5992 | 0.149 | 17 | 0 | 0
5/10/2025 | 18 | 91132 | 16175 | -14232 | 14286 | 6923 | -6092 | 0.162 | 463 | 0 | 0
5/10/2025 | 19 | 92796 | 18657 | -16374 | 16588 | 7985 | -7008 | 0.185 | 656 | 10 | 0.015
5/10/2025 | 20 | 90704 | 18844 | -16302 | 18340 | 8065 | -6977 | 0.208 | 690 | 0 | 0
5/10/2025 | 21 | 87305 | 17749 | -14989 | 18595 | 7596 | -6416 | 0.22 | 1640 | 317 | 0.193
5/10/2025 | 22 | 83380 | 16856 | -13951 | 17764 | 7215 | -5971 | 0.22 | 1953 | 578 | 0.296
5/10/2025 | 23 | 79567 | 14983 | -12365 | 17507 | 6413 | -5292 | 0.227 | 1201 | 128 | 0.107
5/10/2025 | 24 | 73709 | 14673 | -11804 | 17163 | 6280 | -5052 | 0.24 | 1932 | 480 | 0.248
5/11/2025 | 1 | 69118 | 13622 | -10605 | 16325 | 5830 | -4539 | 0.244 | 1509 | 338 | 0.224
5/11/2025 | 2 | 65580 | 13369 | -10121 | 15358 | 5722 | -4332 | 0.243 | 993 | 181 | 0.182
5/11/2025 | 3 | 62628 | 12972 | -9753 | 14759 | 5552 | -4174 | 0.245 | 727 | 142 | 0.195
5/11/2025 | 4 | 61382 | 12504 | -9439 | 14128 | 5351 | -4040 | 0.24 | 1244 | 253 | 0.203
5/11/2025 | 5 | 61033 | 12517 | -9556 | 13696 | 5357 | -4090 | 0.234 | 1284 | 304 | 0.237
5/11/2025 | 6 | 60803 | 12479 | -9481 | 13174 | 5341 | -4058 | 0.227 | 1255 | 311 | 0.248
5/11/2025 | 7 | 60899 | 11808 | -9029 | 11309 | 5054 | -3864 | 0.196 | 1019 | 238 | 0.234
5/11/2025 | 8 | 63271 | 9833 | -7840 | 8411 | 4208 | -3356 | 0.142 | 17 | 0 | 0
5/11/2025 | 9 | 65999 | 9342 | -8023 | 7420 | 3998 | -3434 | 0.119 | 0 | 0 | 0
5/11/2025 | 10 | 67177 | 9963 | -9056 | 6983 | 4264 | -3876 | 0.108 | 0 | 0 | 0
5/11/2025 | 11 | 68028 | 10358 | -9658 | 7141 | 4433 | -4133 | 0.108 | 0 | 0 | 0
5/11/2025 | 12 | 69219 | 10786 | -10047 | 7206 | 4616 | -4300 | 0.108 | 0 | 0 | 0
5/11/2025 | 13 | 71146 | 10559 | -9839 | 7548 | 4519 | -4211 | 0.109 | 0 | 0 | 0
5/11/2025 | 14 | 73862 | 10242 | -9721 | 8553 | 4384 | -4160 | 0.118 | 0 | 0 | 0
5/11/2025 | 15 | 76884 | 11208 | -10576 | 9185 | 4797 | -4527 | 0.122 | 0 | 0 | 0
5/11/2025 | 16 | 79954 | 12466 | -11664 | 10264 | 5335 | -4992 | 0.131 | 0 | 0 | 0
5/11/2025 | 17 | 82859 | 12918 | -12480 | 11250 | 5529 | -5341 | 0.137 | 0 | 0 | 0
5/11/2025 | 18 | 86302 | 13255 | -12241 | 13086 | 5673 | -5239 | 0.155 | 211 | 0 | 0
5/11/2025 | 19 | 87012 | 14152 | -12891 | 15329 | 6057 | -5518 | 0.18 | 1620 | 257 | 0.159
5/11/2025 | 20 | 86479 | 14407 | -13012 | 15897 | 6166 | -5569 | 0.188 | 1614 | 270 | 0.167
5/11/2025 | 21 | 85130 | 13632 | -12304 | 16053 | 5835 | -5267 | 0.192 | 1644 | 365 | 0.222
5/11/2025 | 22 | 81967 | 12754 | -11370 | 15634 | 5459 | -4867 | 0.195 | 1432 | 304 | 0.212
5/11/2025 | 23 | 76553 | 13248 | -11503 | 15407 | 5670 | -4924 | 0.206 | 1130 | 259 | 0.229
5/11/2025 | 24 | 70627 | 12904 | -10742 | 15129 | 5523 | -4597 | 0.221 | 1127 | 287 | 0.255
5/12/2025 | 1 | 67056 | 13140 | -10924 | 14192 | 5624 | -4675 | 0.219 | 938 | 149 | 0.159
5/12/2025 | 2 | 64671 | 12978 | -10775 | 13618 | 5555 | -4611 | 0.218 | 724 | 53 | 0.073
5/12/2025 | 3 | 62654 | 12770 | -10519 | 12979 | 5465 | -4502 | 0.215 | 420 | 36 | 0.086
5/12/2025 | 4 | 62216 | 12523 | -10392 | 12968 | 5360 | -4448 | 0.216 | 507 | 71 | 0.14
5/12/2025 | 5 | 63667 | 12327 | -10359 | 13663 | 5276 | -4434 | 0.221 | 287 | 0 | 0
5/12/2025 | 6 | 67222 | 12192 | -10523 | 13997 | 5218 | -4504 | 0.214 | 136 | 1 | 0.007
5/12/2025 | 7 | 72180 | 11686 | -10465 | 12790 | 5002 | -4479 | 0.181 | 783 | 146 | 0.186
5/12/2025 | 8 | 75464 | 11266 | -10633 | 10271 | 4822 | -4551 | 0.139 | 49 | 0 | 0
5/12/2025 | 9 | 76765 | 11657 | -10974 | 9914 | 4989 | -4697 | 0.132 | 0 | 0 | 0
5/12/2025 | 10 | 76076 | 11753 | -11050 | 12839 | 5031 | -4729 | 0.171 | 0 | 0 | 0
5/12/2025 | 11 | 76367 | 11787 | -11270 | 11547 | 5045 | -4824 | 0.153 | 0 | 0 | 0
5/12/2025 | 12 | 77063 | 12206 | -11712 | 10573 | 5224 | -5013 | 0.139 | 0 | 0 | 0
5/12/2025 | 13 | 78575 | 12100 | -11837 | 9619 | 5179 | -5066 | 0.123 | 0 | 0 | 0
5/12/2025 | 14 | 78518 | 12041 | -11630 | 9717 | 5154 | -4978 | 0.125 | 0 | 0 | 0
5/12/2025 | 15 | 78432 | 13076 | -12303 | 10002 | 5596 | -5266 | 0.13 | 0 | 0 | 0
5/12/2025 | 16 | 80182 | 14133 | -13431 | 10479 | 6049 | -5748 | 0.133 | 0 | 0 | 0
5/12/2025 | 17 | 82547 | 14455 | -13740 | 11594 | 6187 | -5881 | 0.143 | 0 | 0 | 0
5/12/2025 | 18 | 84623 | 15069 | -14413 | 12778 | 6450 | -6169 | 0.153 | 0 | 0 | 0
5/12/2025 | 19 | 85346 | 16536 | -15288 | 14336 | 7078 | -6544 | 0.172 | 559 | 60 | 0.107
5/12/2025 | 20 | 84112 | 17033 | -15284 | 14555 | 7290 | -6542 | 0.178 | 514 | 0 | 0
5/12/2025 | 21 | 83936 | 16441 | -14756 | 14708 | 7037 | -6316 | 0.18 | 487 | 0 | 0
5/12/2025 | 22 | 80769 | 15570 | -13600 | 14098 | 6664 | -5821 | 0.181 | 384 | 0 | 0
5/12/2025 | 23 | 75602 | 15104 | -13242 | 13535 | 6464 | -5667 | 0.185 | 233 | 0 | 0
5/12/2025 | 24 | 70326 | 14689 | -12648 | 12972 | 6287 | -5413 | 0.191 | 308 | 0 | 0
5/13/2025 | 1 | 67149 | 15368 | -13426 | 12546 | 6578 | -5746 | 0.194 | 6 | 0 | 0
5/13/2025 | 2 | 64552 | 15101 | -13166 | 12120 | 6463 | -5635 | 0.195 | 0 | 0 | 0
5/13/2025 | 3 | 62850 | 14856 | -13118 | 11809 | 6358 | -5614 | 0.194 | 3 | 0 | 0
5/13/2025 | 4 | 62371 | 14645 | -13060 | 11894 | 6268 | -5590 | 0.197 | 179 | 0 | 0
5/13/2025 | 5 | 63839 | 14672 | -13163 | 11807 | 6280 | -5634 | 0.191 | 9 | 0 | 0
5/13/2025 | 6 | 67304 | 14810 | -13432 | 11697 | 6339 | -5749 | 0.179 | 0 | 0 | 0
5/13/2025 | 7 | 71595 | 12594 | -11632 | 11377 | 5390 | -4978 | 0.162 | 97 | 0 | 0
5/13/2025 | 8 | 75104 | 11128 | -11619 | 9068 | 4763 | -4973 | 0.119 | 0 | 0 | 0
5/13/2025 | 9 | 75164 | 10886 | -11477 | 8094 | 4659 | -4912 | 0.105 | 0 | 0 | 0
5/13/2025 | 10 | 74570 | 10716 | -11391 | 8072 | 4586 | -4875 | 0.105 | 0 | 0 | 0
5/13/2025 | 11 | 73972 | 10423 | -10812 | 8105 | 4461 | -4628 | 0.108 | 0 | 0 | 0
5/13/2025 | 12 | 73087 | 10302 | -10622 | 8396 | 4410 | -4546 | 0.114 | 0 | 0 | 0
5/13/2025 | 13 | 72660 | 10976 | -11501 | 8437 | 4698 | -4922 | 0.114 | 0 | 0 | 0
5/13/2025 | 14 | 72279 | 11230 | -11472 | 8018 | 4806 | -4910 | 0.11 | 0 | 0 | 0
5/13/2025 | 15 | 72209 | 11322 | -11858 | 8101 | 4846 | -5075 | 0.11 | 0 | 0 | 0
5/13/2025 | 16 | 73019 | 11271 | -12151 | 8046 | 4824 | -5201 | 0.106 | 0 | 0 | 0
5/13/2025 | 17 | 75960 | 11795 | -12775 | 8755 | 5049 | -5468 | 0.111 | 0 | 0 | 0
5/13/2025 | 18 | 78712 | 12376 | -12912 | 9511 | 5297 | -5527 | 0.119 | 0 | 0 | 0
5/13/2025 | 19 | 80798 | 13544 | -13129 | 11184 | 5797 | -5619 | 0.14 | 23 | 0 | 0
5/13/2025 | 20 | 80957 | 13948 | -13227 | 12554 | 5969 | -5661 | 0.157 | 415 | 0 | 0
5/13/2025 | 21 | 81716 | 13712 | -13071 | 12272 | 5869 | -5594 | 0.152 | 803 | 118 | 0.147
5/13/2025 | 22 | 78715 | 13895 | -13102 | 11625 | 5947 | -5608 | 0.15 | 651 | 51 | 0.078
5/13/2025 | 23 | 73479 | 16026 | -14963 | 11707 | 6859 | -6404 | 0.163 | 809 | 59 | 0.073
5/13/2025 | 24 | 69174 | 15649 | -14645 | 11655 | 6698 | -6268 | 0.172 | 1179 | 218 | 0.185
5/14/2025 | 1 | 66016 | 15451 | -14024 | 11425 | 6613 | -6002 | 0.178 | 1730 | 407 | 0.235
5/14/2025 | 2 | 63968 | 15027 | -13762 | 11211 | 6432 | -5890 | 0.18 | 1157 | 232 | 0.201
5/14/2025 | 3 | 62452 | 14651 | -13738 | 10959 | 6271 | -5880 | 0.179 | 896 | 110 | 0.123
5/14/2025 | 4 | 61784 | 14922 | -13855 | 10863 | 6386 | -5930 | 0.18 | 552 | 7 | 0.013
5/14/2025 | 5 | 63407 | 14900 | -13857 | 11514 | 6377 | -5931 | 0.186 | 473 | 3 | 0.006
5/14/2025 | 6 | 66893 | 14702 | -13602 | 12594 | 6293 | -5822 | 0.192 | 505 | 6 | 0.012
5/14/2025 | 7 | 71540 | 12022 | -11734 | 12380 | 5145 | -5022 | 0.174 | 655 | 119 | 0.182
5/14/2025 | 8 | 74037 | 11190 | -11700 | 9704 | 4790 | -5007 | 0.129 | 0 | 0 | 0
5/14/2025 | 9 | 73265 | 10248 | -11017 | 8317 | 4386 | -4715 | 0.11 | 0 | 0 | 0
5/14/2025 | 10 | 71431 | 10151 | -10905 | 7545 | 4344 | -4667 | 0.102 | 0 | 0 | 0
5/14/2025 | 11 | 69443 | 10098 | -10619 | 7430 | 4322 | -4545 | 0.105 | 0 | 0 | 0
5/14/2025 | 12 | 68446 | 9910 | -10463 | 7539 | 4242 | -4478 | 0.108 | 0 | 0 | 0
5/14/2025 | 13 | 68600 | 9714 | -10804 | 7609 | 4157 | -4624 | 0.106 | 0 | 0 | 0
5/14/2025 | 14 | 68394 | 10112 | -11112 | 7831 | 4328 | -4756 | 0.11 | 0 | 0 | 0
5/14/2025 | 15 | 69609 | 10462 | -11639 | 7673 | 4478 | -4982 | 0.105 | 0 | 0 | 0
5/14/2025 | 16 | 72132 | 10607 | -12051 | 7807 | 4540 | -5158 | 0.102 | 0 | 0 | 0
5/14/2025 | 17 | 75417 | 11490 | -12818 | 7928 | 4918 | -5486 | 0.099 | 0 | 0 | 0
5/14/2025 | 18 | 79026 | 11644 | -12001 | 8490 | 4984 | -5136 | 0.106 | 0 | 0 | 0
5/14/2025 | 19 | 80066 | 12624 | -11908 | 11035 | 5403 | -5097 | 0.14 | 412 | 3 | 0.007
5/14/2025 | 20 | 81011 | 13241 | -12020 | 12941 | 5667 | -5145 | 0.164 | 932 | 14 | 0.015
5/14/2025 | 21 | 81030 | 13192 | -11924 | 13266 | 5646 | -5104 | 0.168 | 1203 | 80 | 0.067
5/14/2025 | 22 | 78396 | 13707 | -12269 | 12453 | 5866 | -5251 | 0.164 | 1234 | 121 | 0.098
5/14/2025 | 23 | 73584 | 15345 | -13721 | 12380 | 6568 | -5872 | 0.174 | 1524 | 344 | 0.226
5/14/2025 | 24 | 68816 | 15547 | -13835 | 11926 | 6654 | -5922 | 0.179 | 1514 | 326 | 0.215
5/15/2025 | 1 | 65338 | 15785 | -13778 | 11907 | 6756 | -5897 | 0.19 | 1004 | 188 | 0.187
5/15/2025 | 2 | 63447 | 15608 | -13743 | 11683 | 6680 | -5882 | 0.191 | 1263 | 317 | 0.251
5/15/2025 | 3 | 61925 | 15600 | -13836 | 11185 | 6677 | -5922 | 0.187 | 1178 | 276 | 0.234
5/15/2025 | 4 | 61438 | 15334 | -13586 | 11358 | 6563 | -5815 | 0.192 | 1390 | 378 | 0.272
5/15/2025 | 5 | 62841 | 15397 | -13473 | 11539 | 6590 | -5766 | 0.191 | 1236 | 278 | 0.225
5/15/2025 | 6 | 66504 | 15334 | -13492 | 11396 | 6563 | -5775 | 0.178 | 605 | 37 | 0.061
5/15/2025 | 7 | 70735 | 13424 | -12208 | 10869 | 5745 | -5225 | 0.158 | 608 | 73 | 0.12
5/15/2025 | 8 | 72863 | 11297 | -10566 | 8700 | 4835 | -4522 | 0.122 | 185 | 0 | 0
5/15/2025 | 9 | 72074 | 10759 | -10304 | 7852 | 4605 | -4410 | 0.111 | 0 | 0 | 0
5/15/2025 | 10 | 70647 | 10822 | -10410 | 7844 | 4632 | -4456 | 0.113 | 0 | 0 | 0
5/15/2025 | 11 | 69675 | 10627 | -10468 | 7742 | 4549 | -4480 | 0.112 | 0 | 0 | 0
5/15/2025 | 12 | 69483 | 10894 | -10686 | 7792 | 4663 | -4574 | 0.113 | 0 | 0 | 0
5/15/2025 | 13 | 70301 | 11288 | -11121 | 7958 | 4831 | -4760 | 0.114 | 0 | 0 | 0
5/15/2025 | 14 | 70470 | 11664 | -11305 | 8014 | 4992 | -4838 | 0.115 | 0 | 0 | 0
5/15/2025 | 15 | 71795 | 11377 | -11064 | 7916 | 4869 | -4735 | 0.112 | 0 | 0 | 0
5/15/2025 | 16 | 74853 | 10931 | -10589 | 8390 | 4679 | -4532 | 0.114 | 0 | 0 | 0
5/15/2025 | 17 | 78068 | 12193 | -11820 | 11469 | 5219 | -5059 | 0.148 | 0 | 0 | 0
5/15/2025 | 18 | 81844 | 12615 | -12202 | 10077 | 5399 | -5223 | 0.125 | 0 | 0 | 0
5/15/2025 | 19 | 83092 | 13271 | -11870 | 12163 | 5680 | -5081 | 0.151 | 267 | 0 | 0
5/15/2025 | 20 | 83743 | 14309 | -12692 | 13642 | 6124 | -5432 | 0.168 | 698 | 14 | 0.02
5/15/2025 | 21 | 83485 | 14214 | -12865 | 13788 | 6083 | -5506 | 0.169 | 694 | 33 | 0.048
5/15/2025 | 22 | 80429 | 14448 | -12936 | 13341 | 6184 | -5537 | 0.171 | 1141 | 162 | 0.142
5/15/2025 | 23 | 75217 | 15169 | -13746 | 12675 | 6492 | -5883 | 0.173 | 1304 | 309 | 0.237
5/15/2025 | 24 | 70524 | 14970 | -13608 | 12770 | 6407 | -5824 | 0.186 | 1293 | 251 | 0.194
5/16/2025 | 1 | 67471 | 14635 | -13093 | 12150 | 6264 | -5604 | 0.186 | 1178 | 293 | 0.249
5/16/2025 | 2 | 64775 | 14900 | -13238 | 11903 | 6377 | -5666 | 0.19 | 902 | 221 | 0.245
5/16/2025 | 3 | 62974 | 14779 | -13114 | 11708 | 6325 | -5613 | 0.192 | 346 | 8 | 0.023
5/16/2025 | 4 | 62271 | 14530 | -12831 | 11727 | 6219 | -5492 | 0.195 | 312 | 5 | 0.016
5/16/2025 | 5 | 63290 | 14298 | -12678 | 11831 | 6120 | -5426 | 0.193 | 585 | 83 | 0.142
5/16/2025 | 6 | 66816 | 14220 | -12938 | 11942 | 6086 | -5538 | 0.183 | 600 | 76 | 0.127
5/16/2025 | 7 | 70728 | 12577 | -11720 | 11100 | 5383 | -5016 | 0.16 | 1053 | 277 | 0.263
5/16/2025 | 8 | 74523 | 11609 | -11398 | 9284 | 4969 | -4878 | 0.125 | 423 | 0 | 0
5/16/2025 | 9 | 75306 | 11134 | -11147 | 8543 | 4765 | -4771 | 0.113 | 0 | 0 | 0
5/16/2025 | 10 | 74475 | 11949 | -11913 | 8557 | 5114 | -5099 | 0.115 | 0 | 0 | 0
5/16/2025 | 11 | 73118 | 12170 | -12070 | 7976 | 5209 | -5166 | 0.11 | 0 | 0 | 0
5/16/2025 | 12 | 71797 | 12359 | -12360 | 7938 | 5290 | -5290 | 0.111 | 0 | 0 | 0
5/16/2025 | 13 | 71770 | 12507 | -12526 | 8331 | 5353 | -5361 | 0.116 | 0 | 0 | 0
5/16/2025 | 14 | 73379 | 12371 | -12412 | 8540 | 5295 | -5312 | 0.116 | 0 | 0 | 0
5/16/2025 | 15 | 74818 | 12428 | -12503 | 8735 | 5319 | -5351 | 0.116 | 0 | 0 | 0
5/16/2025 | 16 | 77168 | 12244 | -12217 | 10208 | 5240 | -5229 | 0.132 | 0 | 0 | 0
5/16/2025 | 17 | 80821 | 12709 | -12260 | 11177 | 5439 | -5247 | 0.14 | 0 | 0 | 0
5/16/2025 | 18 | 83307 | 12909 | -12124 | 12694 | 5525 | -5189 | 0.155 | 53 | 0 | 0
5/16/2025 | 19 | 82888 | 13153 | -11757 | 13902 | 5630 | -5032 | 0.172 | 387 | 0 | 0
5/16/2025 | 20 | 82882 | 13414 | -11991 | 15413 | 5741 | -5132 | 0.19 | 560 | 69 | 0.123
5/16/2025 | 21 | 82169 | 13820 | -12453 | 15868 | 5915 | -5330 | 0.197 | 474 | 3 | 0.006
5/16/2025 | 22 | 78912 | 13076 | -11199 | 15615 | 5597 | -4793 | 0.203 | 695 | 88 | 0.127
5/16/2025 | 23 | 74877 | 13292 | -11663 | 15629 | 5689 | -4992 | 0.213 | 278 | 7 | 0.025
5/16/2025 | 24 | 70381 | 13447 | -11709 | 15552 | 5756 | -5012 | 0.226 | 870 | 206 | 0.237
5/17/2025 | 1 | 67524 | 12404 | -10645 | 15534 | 5309 | -4556 | 0.235 | 1343 | 409 | 0.305
5/17/2025 | 2 | 64608 | 12226 | -10543 | 14780 | 5233 | -4513 | 0.234 | 1054 | 336 | 0.319
5/17/2025 | 3 | 62476 | 11789 | -10387 | 13957 | 5046 | -4446 | 0.228 | 733 | 135 | 0.184
5/17/2025 | 4 | 61202 | 11853 | -10370 | 13583 | 5073 | -4438 | 0.227 | 328 | 0 | 0
5/17/2025 | 5 | 61148 | 12198 | -10533 | 14205 | 5221 | -4508 | 0.237 | 117 | 0 | 0
5/17/2025 | 6 | 62044 | 12334 | -10715 | 14192 | 5279 | -4586 | 0.234 | 185 | 0 | 0
5/17/2025 | 7 | 63405 | 11645 | -10525 | 11980 | 4984 | -4505 | 0.193 | 367 | 46 | 0.125
5/17/2025 | 8 | 66220 | 11138 | -10508 | 9886 | 4767 | -4498 | 0.152 | 230 | 13 | 0.057
5/17/2025 | 9 | 67956 | 10984 | -10791 | 9228 | 4701 | -4619 | 0.137 | 0 | 0 | 0
5/17/2025 | 10 | 68428 | 11090 | -11258 | 8796 | 4747 | -4819 | 0.128 | 0 | 0 | 0
5/17/2025 | 11 | 68629 | 10491 | -10636 | 8649 | 4490 | -4552 | 0.125 | 0 | 0 | 0
5/17/2025 | 12 | 68383 | 10825 | -10998 | 8628 | 4633 | -4707 | 0.125 | 0 | 0 | 0
5/17/2025 | 13 | 68139 | 11138 | -11264 | 8698 | 4767 | -4821 | 0.127 | 0 | 0 | 0
5/17/2025 | 14 | 68408 | 11396 | -11706 | 8854 | 4878 | -5010 | 0.128 | 0 | 0 | 0
5/17/2025 | 15 | 69189 | 12078 | -12408 | 9615 | 5169 | -5311 | 0.138 | 0 | 0 | 0
5/17/2025 | 16 | 70768 | 12691 | -13231 | 9489 | 5431 | -5663 | 0.132 | 0 | 0 | 0
5/17/2025 | 17 | 73320 | 13676 | -14088 | 9860 | 5853 | -6029 | 0.133 | 0 | 0 | 0
5/17/2025 | 18 | 75439 | 13282 | -13530 | 10373 | 5685 | -5791 | 0.137 | 0 | 0 | 0
5/17/2025 | 19 | 76292 | 12616 | -12243 | 11572 | 5400 | -5240 | 0.153 | 76 | 0 | 0
5/17/2025 | 20 | 76912 | 13951 | -13384 | 12495 | 5971 | -5728 | 0.164 | 0 | 0 | 0
5/17/2025 | 21 | 76232 | 14238 | -13473 | 12605 | 6094 | -5767 | 0.168 | 0 | 0 | 0
5/17/2025 | 22 | 73877 | 14351 | -13090 | 13178 | 6142 | -5603 | 0.183 | 232 | 0 | 0
5/17/2025 | 23 | 70115 | 15487 | -13694 | 12635 | 6629 | -5861 | 0.186 | 224 | 0 | 0
5/17/2025 | 24 | 66338 | 15480 | -13365 | 12550 | 6625 | -5720 | 0.197 | 212 | 0 | 0
5/18/2025 | 1 | 63755 | 14741 | -12910 | 11976 | 6309 | -5525 | 0.195 | 417 | 8 | 0.019
5/18/2025 | 2 | 61108 | 14422 | -12644 | 11003 | 6173 | -5412 | 0.187 | 448 | 1 | 0.002
5/18/2025 | 3 | 59493 | 14485 | -12697 | 10478 | 6200 | -5434 | 0.183 | 410 | 0 | 0
5/18/2025 | 4 | 58971 | 14203 | -12538 | 10580 | 6079 | -5366 | 0.186 | 407 | 2 | 0.005
5/18/2025 | 5 | 58868 | 14531 | -12793 | 10577 | 6220 | -5475 | 0.187 | 505 | 41 | 0.081
5/18/2025 | 6 | 60079 | 14474 | -12804 | 10178 | 6195 | -5480 | 0.176 | 301 | 1 | 0.003
5/18/2025 | 7 | 61603 | 12155 | -11226 | 9280 | 5202 | -4804 | 0.155 | 370 | 30 | 0.081
5/18/2025 | 8 | 63334 | 9791 | -9786 | 7595 | 4191 | -4188 | 0.12 | 0 | 0 | 0
5/18/2025 | 9 | 63975 | 9626 | -10392 | 7283 | 4120 | -4448 | 0.11 | 0 | 0 | 0
5/18/2025 | 10 | 64462 | 9517 | -10946 | 7170 | 4073 | -4685 | 0.104 | 0 | 0 | 0
5/18/2025 | 11 | 63401 | 9608 | -10871 | 7191 | 4112 | -4653 | 0.107 | 0 | 0 | 0
5/18/2025 | 12 | 62839 | 10007 | -11597 | 7452 | 4283 | -4963 | 0.111 | 0 | 0 | 0
5/18/2025 | 13 | 62412 | 9996 | -11546 | 7176 | 4278 | -4942 | 0.107 | 0 | 0 | 0
5/18/2025 | 14 | 62997 | 9932 | -11455 | 7103 | 4251 | -4902 | 0.105 | 0 | 0 | 0
5/18/2025 | 15 | 64383 | 10199 | -11796 | 7221 | 4365 | -5049 | 0.104 | 0 | 0 | 0
5/18/2025 | 16 | 66681 | 10106 | -11802 | 7394 | 4325 | -5051 | 0.103 | 0 | 0 | 0
5/18/2025 | 17 | 69715 | 10318 | -11840 | 7780 | 4416 | -5068 | 0.105 | 0 | 0 | 0
5/18/2025 | 18 | 74096 | 10350 | -11264 | 8719 | 4430 | -4821 | 0.114 | 0 | 0 | 0
5/18/2025 | 19 | 76336 | 11955 | -11133 | 10959 | 5117 | -4765 | 0.147 | 13 | 0 | 0
5/18/2025 | 20 | 77400 | 12251 | -11187 | 12215 | 5243 | -4788 | 0.161 | 737 | 43 | 0.058
5/18/2025 | 21 | 77366 | 12347 | -11154 | 12132 | 5285 | -4774 | 0.161 | 564 | 1 | 0.002
5/18/2025 | 22 | 75206 | 12469 | -11113 | 11807 | 5337 | -4756 | 0.162 | 823 | 72 | 0.087
5/18/2025 | 23 | 70800 | 14129 | -12563 | 11682 | 6047 | -5377 | 0.171 | 832 | 20 | 0.024
5/18/2025 | 24 | 66433 | 13689 | -12254 | 11410 | 5859 | -5245 | 0.177 | 697 | 76 | 0.109
5/19/2025 | 1 | 63407 | 13502 | -12024 | 11707 | 5779 | -5146 | 0.19 | 464 | 16 | 0.034
5/19/2025 | 2 | 61476 | 13062 | -11740 | 11368 | 5591 | -5025 | 0.19 | 469 | 34 | 0.072
5/19/2025 | 3 | 59923 | 12362 | -11131 | 10823 | 5291 | -4764 | 0.186 | 463 | 25 | 0.054
5/19/2025 | 4 | 60241 | 11999 | -11097 | 11065 | 5136 | -4749 | 0.187 | 398 | 18 | 0.045
5/19/2025 | 5 | 61879 | 12186 | -11202 | 11128 | 5216 | -4795 | 0.184 | 311 | 0 | 0
5/19/2025 | 6 | 65504 | 12371 | -11281 | 11612 | 5295 | -4829 | 0.181 | 362 | 4 | 0.011
5/19/2025 | 7 | 69946 | 11506 | -10618 | 11334 | 4925 | -4544 | 0.165 | 1016 | 191 | 0.188
5/19/2025 | 8 | 73184 | 10765 | -10172 | 9619 | 4607 | -4354 | 0.134 | 39 | 0 | 0
5/19/2025 | 9 | 73318 | 11387 | -11188 | 8835 | 4873 | -4789 | 0.121 | 0 | 0 | 0
5/19/2025 | 10 | 72039 | 11960 | -11709 | 8809 | 5119 | -5012 | 0.123 | 0 | 0 | 0
5/19/2025 | 11 | 70993 | 11863 | -11490 | 8625 | 5077 | -4918 | 0.123 | 0 | 0 | 0
5/19/2025 | 12 | 70727 | 11802 | -11384 | 8603 | 5051 | -4872 | 0.123 | 0 | 0 | 0
5/19/2025 | 13 | 71052 | 11836 | -11309 | 8451 | 5066 | -4840 | 0.121 | 0 | 0 | 0
5/19/2025 | 14 | 71892 | 11977 | -11321 | 8327 | 5126 | -4845 | 0.119 | 0 | 0 | 0
5/19/2025 | 15 | 73782 | 11846 | -11437 | 8286 | 5070 | -4895 | 0.114 | 0 | 0 | 0
5/19/2025 | 16 | 76400 | 12257 | -11962 | 8567 | 5246 | -5120 | 0.113 | 0 | 0 | 0
5/19/2025 | 17 | 80092 | 12633 | -12133 | 9227 | 5407 | -5193 | 0.117 | 0 | 0 | 0
5/19/2025 | 18 | 83767 | 12894 | -11973 | 10276 | 5518 | -5124 | 0.126 | 0 | 0 | 0
5/19/2025 | 19 | 85974 | 13804 | -12572 | 12636 | 5908 | -5381 | 0.151 | 266 | 0 | 0
5/19/2025 | 20 | 86148 | 14088 | -12952 | 14792 | 6030 | -5543 | 0.175 | 567 | 3 | 0.005
5/19/2025 | 21 | 84136 | 15142 | -13455 | 15150 | 6481 | -5759 | 0.185 | 505 | 6 | 0.012
5/19/2025 | 22 | 81455 | 14645 | -12752 | 15096 | 6268 | -5458 | 0.191 | 479 | 7 | 0.015
5/19/2025 | 23 | 76054 | 14684 | -12941 | 15240 | 6285 | -5539 | 0.205 | 635 | 82 | 0.129
5/19/2025 | 24 | 70094 | 15259 | -13067 | 15795 | 6531 | -5593 | 0.231 | 1062 | 247 | 0.233
5/20/2025 | 1 | 66577 | 15487 | -13440 | 16320 | 6628 | -5752 | 0.251 | 1401 | 364 | 0.26
5/20/2025 | 2 | 64030 | 15383 | -13116 | 14038 | 6584 | -5614 | 0.226 | 1970 | 640 | 0.325
5/20/2025 | 3 | 62203 | 15236 | -12887 | 16359 | 6521 | -5516 | 0.269 | 1794 | 579 | 0.323
5/20/2025 | 4 | 61554 | 15326 | -12901 | 13354 | 6560 | -5522 | 0.225 | 1752 | 649 | 0.37
5/20/2025 | 5 | 62616 | 15024 | -12668 | 13157 | 6430 | -5422 | 0.218 | 1775 | 700 | 0.394
5/20/2025 | 6 | 65595 | 15564 | -12972 | 13860 | 6662 | -5552 | 0.22 | 1974 | 674 | 0.341
5/20/2025 | 7 | 70092 | 13560 | -11252 | 12996 | 5804 | -4816 | 0.193 | 2049 | 668 | 0.326
5/20/2025 | 8 | 73321 | 11733 | -10384 | 9895 | 5022 | -4445 | 0.14 | 106 | 0 | 0
5/20/2025 | 9 | 73242 | 10469 | -9569 | 9026 | 4481 | -4096 | 0.127 | 0 | 0 | 0
5/20/2025 | 10 | 72295 | 11240 | -10259 | 8386 | 4810 | -4391 | 0.12 | 0 | 0 | 0
5/20/2025 | 11 | 72455 | 11064 | -10625 | 8161 | 4736 | -4547 | 0.115 | 0 | 0 | 0
5/20/2025 | 12 | 72553 | 11304 | -10854 | 8146 | 4838 | -4645 | 0.114 | 0 | 0 | 0
5/20/2025 | 13 | 73342 | 11484 | -10929 | 8586 | 4915 | -4678 | 0.119 | 0 | 0 | 0
5/20/2025 | 14 | 75772 | 10868 | -10540 | 8536 | 4652 | -4511 | 0.114 | 0 | 0 | 0
5/20/2025 | 15 | 78674 | 11224 | -11128 | 8972 | 4804 | -4763 | 0.114 | 0 | 0 | 0
5/20/2025 | 16 | 81759 | 11797 | -11800 | 9466 | 5049 | -5050 | 0.116 | 0 | 0 | 0
5/20/2025 | 17 | 85792 | 12373 | -12016 | 10431 | 5296 | -5143 | 0.123 | 0 | 0 | 0
5/20/2025 | 18 | 89380 | 13623 | -12580 | 11872 | 5830 | -5384 | 0.136 | 22 | 0 | 0
5/20/2025 | 19 | 90931 | 14126 | -12963 | 14953 | 6046 | -5548 | 0.168 | 459 | 2 | 0.004
5/20/2025 | 20 | 90176 | 14976 | -13982 | 17469 | 6410 | -5984 | 0.196 | 650 | 60 | 0.092
5/20/2025 | 21 | 88656 | 14982 | -13834 | 18370 | 6412 | -5921 | 0.21 | 1088 | 123 | 0.113
5/20/2025 | 22 | 85080 | 14592 | -12988 | 18291 | 6245 | -5559 | 0.219 | 1485 | 282 | 0.19
5/20/2025 | 23 | 78222 | 15898 | -14095 | 17820 | 6804 | -6032 | 0.232 | 1037 | 265 | 0.256
5/20/2025 | 24 | 71860 | 15201 | -13307 | 17018 | 6506 | -5695 | 0.242 | 1309 | 345 | 0.264
5/21/2025 | 1 | 67953 | 15362 | -13197 | 16118 | 6575 | -5648 | 0.243 | 1211 | 288 | 0.238
5/21/2025 | 2 | 65391 | 15549 | -13525 | 15522 | 6655 | -5789 | 0.243 | 1300 | 350 | 0.269
5/21/2025 | 3 | 62968 | 15733 | -13354 | 14714 | 6734 | -5716 | 0.241 | 597 | 37 | 0.062
5/21/2025 | 4 | 62092 | 15359 | -12978 | 14476 | 6574 | -5554 | 0.24 | 621 | 18 | 0.029
5/21/2025 | 5 | 63814 | 15003 | -12977 | 14584 | 6421 | -5554 | 0.235 | 563 | 1 | 0.002
5/21/2025 | 6 | 67187 | 14838 | -12802 | 15058 | 6350 | -5479 | 0.23 | 349 | 1 | 0.003
5/21/2025 | 7 | 71172 | 13261 | -11460 | 14208 | 5676 | -4905 | 0.205 | 1080 | 180 | 0.167
5/21/2025 | 8 | 73963 | 12146 | -10924 | 11480 | 5198 | -4676 | 0.16 | 73 | 0 | 0
5/21/2025 | 9 | 74221 | 12100 | -11445 | 11133 | 5179 | -4898 | 0.152 | 0 | 0 | 0
5/21/2025 | 10 | 73823 | 11791 | -11294 | 11610 | 5047 | -4834 | 0.159 | 0 | 0 | 0
5/21/2025 | 11 | 73705 | 11176 | -10735 | 11268 | 4783 | -4595 | 0.155 | 0 | 0 | 0
5/21/2025 | 12 | 74651 | 11186 | -10659 | 11611 | 4788 | -4562 | 0.157 | 0 | 0 | 0
5/21/2025 | 13 | 77131 | 11353 | -10512 | 11567 | 4859 | -4499 | 0.153 | 0 | 0 | 0
5/21/2025 | 14 | 80167 | 11755 | -10966 | 12208 | 5031 | -4693 | 0.155 | 0 | 0 | 0
5/21/2025 | 15 | 82438 | 11874 | -11186 | 12976 | 5082 | -4788 | 0.16 | 0 | 0 | 0
5/21/2025 | 16 | 85811 | 12027 | -11584 | 13168 | 5148 | -4958 | 0.155 | 0 | 0 | 0
5/21/2025 | 17 | 90005 | 12802 | -12186 | 14150 | 5479 | -5215 | 0.159 | 0 | 0 | 0
5/21/2025 | 18 | 93666 | 12908 | -12045 | 15591 | 5525 | -5156 | 0.169 | 0 | 0 | 0
5/21/2025 | 19 | 94823 | 13489 | -12326 | 18840 | 5773 | -5276 | 0.201 | 0 | 0 | 0
5/21/2025 | 20 | 93543 | 13901 | -12545 | 20678 | 5950 | -5369 | 0.224 | 82 | 0 | 0
5/21/2025 | 21 | 91683 | 13329 | -12133 | 21245 | 5705 | -5193 | 0.234 | 228 | 0 | 0
5/21/2025 | 22 | 88178 | 12244 | -11078 | 21066 | 5240 | -4741 | 0.241 | 477 | 0 | 0
5/21/2025 | 23 | 81798 | 12134 | -11236 | 20660 | 5194 | -4809 | 0.254 | 375 | 0 | 0
5/21/2025 | 24 | 74988 | 11561 | -10728 | 19748 | 4948 | -4592 | 0.265 | 560 | 0 | 0
5/22/2025 | 1 | 70899 | 10949 | -10062 | 18438 | 4686 | -4307 | 0.262 | 397 | 0 | 0
5/22/2025 | 2 | 67159 | 10871 | -9800 | 17619 | 4652 | -4195 | 0.265 | 395 | 0 | 0
5/22/2025 | 3 | 64623 | 11112 | -9960 | 16660 | 4756 | -4263 | 0.261 | 234 | 0 | 0
5/22/2025 | 4 | 64102 | 10703 | -9916 | 16657 | 4581 | -4244 | 0.262 | 311 | 0 | 0
5/22/2025 | 5 | 65279 | 10858 | -10151 | 17279 | 4647 | -4345 | 0.266 | 166 | 0 | 0
5/22/2025 | 6 | 68260 | 11583 | -10921 | 16588 | 4958 | -4674 | 0.245 | 69 | 0 | 0
5/22/2025 | 7 | 71804 | 11111 | -10507 | 15353 | 4755 | -4497 | 0.216 | 72 | 0 | 0
5/22/2025 | 8 | 74948 | 11338 | -11249 | 12292 | 4852 | -4814 | 0.164 | 0 | 0 | 0
5/22/2025 | 9 | 75083 | 11589 | -11494 | 10790 | 4960 | -4919 | 0.144 | 0 | 0 | 0
5/22/2025 | 10 | 74869 | 11319 | -11355 | 10952 | 4844 | -4860 | 0.146 | 0 | 0 | 0
5/22/2025 | 11 | 75797 | 11402 | -11556 | 10491 | 4880 | -4946 | 0.138 | 0 | 0 | 0
5/22/2025 | 12 | 76582 | 11560 | -11832 | 11004 | 4948 | -5064 | 0.143 | 0 | 0 | 0
5/22/2025 | 13 | 77908 | 11613 | -11580 | 11812 | 4970 | -4956 | 0.152 | 0 | 0 | 0
5/22/2025 | 14 | 80684 | 11896 | -11946 | 12420 | 5091 | -5113 | 0.154 | 0 | 0 | 0
5/22/2025 | 15 | 84198 | 12300 | -12470 | 12262 | 5264 | -5337 | 0.145 | 0 | 0 | 0
5/22/2025 | 16 | 87469 | 12657 | -13013 | 13192 | 5417 | -5570 | 0.15 | 0 | 0 | 0
5/22/2025 | 17 | 90137 | 12908 | -12788 | 13888 | 5525 | -5473 | 0.154 | 0 | 0 | 0
5/22/2025 | 18 | 93269 | 13034 | -12407 | 15084 | 5578 | -5310 | 0.164 | 0 | 0 | 0
5/22/2025 | 19 | 93697 | 14578 | -13644 | 17383 | 6239 | -5840 | 0.188 | 0 | 0 | 0
5/22/2025 | 20 | 91819 | 14768 | -13807 | 18628 | 6320 | -5910 | 0.205 | 70 | 0 | 0
5/22/2025 | 21 | 89921 | 14397 | -13443 | 18927 | 6162 | -5754 | 0.213 | 418 | 0 | 0
5/22/2025 | 22 | 86957 | 13871 | -12894 | 18724 | 5937 | -5518 | 0.218 | 458 | 0 | 0
5/22/2025 | 23 | 81482 | 13706 | -13027 | 18265 | 5866 | -5576 | 0.226 | 330 | 0 | 0
5/22/2025 | 24 | 74956 | 13545 | -12536 | 17935 | 5797 | -5366 | 0.242 | 483 | 10 | 0.021
5/23/2025 | 1 | 70512 | 12789 | -11333 | 16774 | 5474 | -4850 | 0.242 | 552 | 40 | 0.072
5/23/2025 | 2 | 66556 | 12741 | -11025 | 16525 | 5453 | -4718 | 0.253 | 483 | 9 | 0.019
5/23/2025 | 3 | 64454 | 12766 | -11132 | 16028 | 5464 | -4764 | 0.253 | 620 | 1 | 0.002
5/23/2025 | 4 | 63318 | 12211 | -10616 | 15768 | 5226 | -4544 | 0.253 | 646 | 0 | 0
5/23/2025 | 5 | 64424 | 12423 | -10947 | 16207 | 5317 | -4685 | 0.256 | 385 | 5 | 0.013
5/23/2025 | 6 | 67368 | 12132 | -10917 | 16146 | 5192 | -4672 | 0.243 | 317 | 0 | 0
5/23/2025 | 7 | 70889 | 11304 | -10177 | 14698 | 4838 | -4356 | 0.211 | 360 | 7 | 0.019
5/23/2025 | 8 | 74328 | 11770 | -11508 | 11604 | 5037 | -4926 | 0.157 | 0 | 0 | 0
5/23/2025 | 9 | 75883 | 11908 | -11950 | 11090 | 5097 | -5115 | 0.146 | 0 | 0 | 0
5/23/2025 | 10 | 76026 | 12300 | -12791 | 10906 | 5264 | -5474 | 0.142 | 0 | 0 | 0
5/23/2025 | 11 | 75394 | 12093 | -12505 | 10904 | 5176 | -5352 | 0.143 | 0 | 0 | 0
5/23/2025 | 12 | 74889 | 12185 | -12825 | 11216 | 5215 | -5489 | 0.147 | 0 | 0 | 0
5/23/2025 | 13 | 75700 | 12008 | -12538 | 11547 | 5140 | -5367 | 0.151 | 0 | 0 | 0
5/23/2025 | 14 | 77555 | 12267 | -12831 | 11754 | 5250 | -5492 | 0.15 | 0 | 0 | 0
5/23/2025 | 15 | 80460 | 12628 | -13255 | 12088 | 5405 | -5673 | 0.148 | 0 | 0 | 0
5/23/2025 | 16 | 83028 | 12943 | -13671 | 11762 | 5540 | -5851 | 0.139 | 0 | 0 | 0
5/23/2025 | 17 | 86316 | 13220 | -13707 | 12998 | 5658 | -5867 | 0.149 | 0 | 0 | 0
5/23/2025 | 18 | 88905 | 13294 | -13471 | 14399 | 5690 | -5765 | 0.161 | 0 | 0 | 0
5/23/2025 | 19 | 90094 | 13031 | -12949 | 16910 | 5577 | -5542 | 0.188 | 28 | 0 | 0
5/23/2025 | 20 | 88132 | 13226 | -12917 | 18620 | 5661 | -5528 | 0.212 | 108 | 0 | 0
5/23/2025 | 21 | 86257 | 13331 | -12948 | 18657 | 5706 | -5542 | 0.217 | 321 | 17 | 0.053
5/23/2025 | 22 | 83294 | 13078 | -12388 | 18319 | 5597 | -5302 | 0.222 | 688 | 60 | 0.087
5/23/2025 | 23 | 78620 | 13348 | -12451 | 18306 | 5713 | -5329 | 0.235 | 699 | 56 | 0.08
5/23/2025 | 24 | 72833 | 12918 | -11718 | 17838 | 5529 | -5015 | 0.248 | 770 | 120 | 0.156
5/24/2025 | 1 | 69069 | 11365 | -10243 | 16815 | 4864 | -4384 | 0.246 | 1731 | 383 | 0.221
5/24/2025 | 2 | 66205 | 11189 | -10086 | 16415 | 4789 | -4317 | 0.251 | 1708 | 401 | 0.235
5/24/2025 | 3 | 63745 | 11282 | -10136 | 16198 | 4829 | -4338 | 0.257 | 1337 | 306 | 0.229
5/24/2025 | 4 | 62472 | 11437 | -10024 | 15973 | 4895 | -4290 | 0.259 | 1147 | 298 | 0.26
5/24/2025 | 5 | 62562 | 10880 | -9723 | 15795 | 4657 | -4161 | 0.256 | 1124 | 272 | 0.242
5/24/2025 | 6 | 62967 | 11145 | -9918 | 15856 | 4770 | -4245 | 0.255 | 1228 | 238 | 0.194
5/24/2025 | 7 | 63667 | 12309 | -11240 | 14513 | 5268 | -4811 | 0.231 | 821 | 118 | 0.144
5/24/2025 | 8 | 65485 | 12034 | -11623 | 11597 | 5151 | -4975 | 0.179 | 0 | 0 | 0
5/24/2025 | 9 | 67552 | 12198 | -12345 | 10620 | 5221 | -5284 | 0.157 | 0 | 0 | 0
5/24/2025 | 10 | 67927 | 12457 | -12613 | 9976 | 5332 | -5398 | 0.146 | 0 | 0 | 0
5/24/2025 | 11 | 67535 | 13050 | -13254 | 10174 | 5586 | -5673 | 0.15 | 0 | 0 | 0
5/24/2025 | 12 | 67560 | 12731 | -13324 | 10190 | 5449 | -5703 | 0.148 | 0 | 0 | 0
5/24/2025 | 13 | 67922 | 12786 | -13385 | 10817 | 5472 | -5729 | 0.157 | 0 | 0 | 0
5/24/2025 | 14 | 69612 | 13111 | -13818 | 10718 | 5612 | -5914 | 0.151 | 0 | 0 | 0
5/24/2025 | 15 | 71655 | 13238 | -14175 | 10773 | 5666 | -6067 | 0.147 | 0 | 0 | 0
5/24/2025 | 16 | 74892 | 13298 | -14359 | 11223 | 5692 | -6146 | 0.146 | 0 | 0 | 0
5/24/2025 | 17 | 78486 | 14181 | -14977 | 11714 | 6070 | -6410 | 0.146 | 0 | 0 | 0
5/24/2025 | 18 | 81826 | 14072 | -14027 | 12389 | 6023 | -6003 | 0.152 | 0 | 0 | 0
5/24/2025 | 19 | 82897 | 12928 | -11731 | 14419 | 5533 | -5021 | 0.178 | 0 | 0 | 0
5/24/2025 | 20 | 82046 | 13083 | -11664 | 16516 | 5600 | -4992 | 0.205 | 258 | 8 | 0.031
5/24/2025 | 21 | 80737 | 12690 | -11329 | 16827 | 5431 | -4849 | 0.212 | 324 | 2 | 0.006
5/24/2025 | 22 | 78001 | 12467 | -10943 | 16735 | 5336 | -4684 | 0.219 | 350 | 0 | 0
5/24/2025 | 23 | 73892 | 11561 | -10019 | 16700 | 4948 | -4288 | 0.23 | 243 | 0 | 0
5/24/2025 | 24 | 68845 | 11781 | -9896 | 16232 | 5042 | -4235 | 0.241 | 355 | 38 | 0.107
5/25/2025 | 1 | 64724 | 12064 | -9932 | 15525 | 5164 | -4251 | 0.246 | 254 | 0 | 0
5/25/2025 | 2 | 62206 | 11948 | -9919 | 14942 | 5114 | -4246 | 0.246 | 255 | 0 | 0
5/25/2025 | 3 | 59959 | 12368 | -10318 | 14376 | 5294 | -4416 | 0.246 | 321 | 0 | 0
5/25/2025 | 4 | 58719 | 11789 | -9836 | 14550 | 5045 | -4210 | 0.254 | 324 | 1 | 0.003
5/25/2025 | 5 | 58555 | 11447 | -9532 | 14818 | 4899 | -4080 | 0.259 | 515 | 27 | 0.052
5/25/2025 | 6 | 58998 | 11576 | -9714 | 14466 | 4955 | -4157 | 0.251 | 592 | 32 | 0.054
5/25/2025 | 7 | 59652 | 10709 | -9126 | 12699 | 4584 | -3906 | 0.218 | 738 | 137 | 0.186
5/25/2025 | 8 | 62174 | 10474 | -9651 | 9724 | 4483 | -4131 | 0.16 | 0 | 0 | 0
5/25/2025 | 9 | 63986 | 10586 | -10370 | 9044 | 4531 | -4438 | 0.142 | 0 | 0 | 0
5/25/2025 | 10 | 64341 | 11028 | -11010 | 9029 | 4720 | -4712 | 0.14 | 0 | 0 | 0
5/25/2025 | 11 | 64063 | 10836 | -10901 | 8826 | 4638 | -4666 | 0.137 | 0 | 0 | 0
5/25/2025 | 12 | 64356 | 10969 | -10958 | 9260 | 4695 | -4690 | 0.144 | 0 | 0 | 0
5/25/2025 | 13 | 65234 | 11116 | -10902 | 9570 | 4757 | -4666 | 0.148 | 0 | 0 | 0
5/25/2025 | 14 | 66872 | 11380 | -11009 | 9860 | 4870 | -4712 | 0.149 | 0 | 0 | 0
5/25/2025 | 15 | 70214 | 11703 | -12077 | 10099 | 5009 | -5169 | 0.142 | 0 | 0 | 0
5/25/2025 | 16 | 74090 | 11533 | -12281 | 10344 | 4936 | -5256 | 0.137 | 0 | 0 | 0
5/25/2025 | 17 | 78088 | 11969 | -12453 | 11110 | 5123 | -5330 | 0.14 | 0 | 0 | 0
5/25/2025 | 18 | 82136 | 12589 | -12547 | 12074 | 5388 | -5370 | 0.147 | 0 | 0 | 0
5/25/2025 | 19 | 83531 | 12973 | -12132 | 13930 | 5552 | -5192 | 0.169 | 0 | 0 | 0
5/25/2025 | 20 | 82761 | 13766 | -12834 | 15190 | 5892 | -5493 | 0.186 | 245 | 6 | 0.024
5/25/2025 | 21 | 80602 | 13821 | -12590 | 15102 | 5915 | -5389 | 0.191 | 476 | 20 | 0.042
5/25/2025 | 22 | 78197 | 13887 | -12654 | 15042 | 5944 | -5416 | 0.196 | 492 | 30 | 0.061
5/25/2025 | 23 | 73073 | 15063 | -13405 | 14242 | 6447 | -5737 | 0.2 | 423 | 3 | 0.007
5/25/2025 | 24 | 68163 | 15206 | -13327 | 13550 | 6508 | -5704 | 0.205 | 553 | 3 | 0.005
5/26/2025 | 1 | 64775 | 15715 | -13576 | 13458 | 6726 | -5811 | 0.215 | 354 | 2 | 0.006
5/26/2025 | 2 | 61886 | 15353 | -13115 | 12929 | 6571 | -5613 | 0.217 | 399 | 34 | 0.085
5/26/2025 | 3 | 60081 | 14657 | -12530 | 12864 | 6273 | -5363 | 0.221 | 397 | 28 | 0.071
5/26/2025 | 4 | 58869 | 14380 | -12284 | 12688 | 6155 | -5258 | 0.223 | 230 | 0 | 0
5/26/2025 | 5 | 58953 | 13994 | -11970 | 12436 | 5989 | -5123 | 0.218 | 271 | 0 | 0
5/26/2025 | 6 | 59652 | 14197 | -12291 | 12042 | 6076 | -5261 | 0.209 | 0 | 0 | 0
5/26/2025 | 7 | 61681 | 12388 | -11242 | 10645 | 5302 | -4811 | 0.177 | 171 | 0 | 0
5/26/2025 | 8 | 65095 | 10400 | -10170 | 8824 | 4451 | -4353 | 0.137 | 0 | 0 | 0
5/26/2025 | 9 | 67423 | 10507 | -10638 | 8622 | 4497 | -4554 | 0.127 | 0 | 0 | 0
5/26/2025 | 10 | 68524 | 10852 | -11274 | 8625 | 4645 | -4825 | 0.124 | 0 | 0 | 0
5/26/2025 | 11 | 68758 | 10530 | -10916 | 8474 | 4507 | -4672 | 0.122 | 0 | 0 | 0
5/26/2025 | 12 | 68958 | 10932 | -11369 | 8829 | 4679 | -4866 | 0.126 | 0 | 0 | 0
5/26/2025 | 13 | 69658 | 11097 | -11547 | 9178 | 4750 | -4942 | 0.13 | 0 | 0 | 0
5/26/2025 | 14 | 72232 | 11088 | -11684 | 9398 | 4746 | -5001 | 0.128 | 0 | 0 | 0
5/26/2025 | 15 | 75469 | 11333 | -12090 | 10028 | 4850 | -5174 | 0.13 | 0 | 0 | 0
5/26/2025 | 16 | 79376 | 11418 | -12394 | 10745 | 4887 | -5305 | 0.132 | 0 | 0 | 0
5/26/2025 | 17 | 82842 | 11228 | -12083 | 11770 | 4806 | -5171 | 0.139 | 0 | 0 | 0
5/26/2025 | 18 | 86144 | 11850 | -11799 | 12655 | 5072 | -5050 | 0.147 | 0 | 0 | 0
5/26/2025 | 19 | 87565 | 12894 | -12456 | 14738 | 5518 | -5331 | 0.17 | 124 | 6 | 0.048
5/26/2025 | 20 | 86832 | 13807 | -13059 | 16081 | 5909 | -5589 | 0.187 | 662 | 57 | 0.086
5/26/2025 | 21 | 85489 | 13343 | -12590 | 16494 | 5710 | -5389 | 0.195 | 387 | 32 | 0.083
5/26/2025 | 22 | 81956 | 13357 | -12160 | 16292 | 5717 | -5204 | 0.202 | 825 | 87 | 0.105
5/26/2025 | 23 | 76123 | 13351 | -12155 | 15674 | 5714 | -5202 | 0.209 | 1130 | 178 | 0.158
5/26/2025 | 24 | 70357 | 13237 | -11902 | 15474 | 5665 | -5094 | 0.224 | 1210 | 256 | 0.212
5/27/2025 | 1 | 65687 | 13180 | -11180 | 15075 | 5641 | -4785 | 0.235 | 711 | 137 | 0.193
5/27/2025 | 2 | 62782 | 13240 | -11136 | 15075 | 5667 | -4766 | 0.246 | 328 | 2 | 0.006
5/27/2025 | 3 | 60832 | 13480 | -11348 | 14952 | 5770 | -4857 | 0.252 | 363 | 0 | 0
5/27/2025 | 4 | 60321 | 12684 | -10792 | 15333 | 5429 | -4619 | 0.259 | 370 | 0 | 0
5/27/2025 | 5 | 61103 | 12397 | -10406 | 15494 | 5306 | -4454 | 0.259 | 349 | 0 | 0
5/27/2025 | 6 | 64564 | 12085 | -10361 | 15631 | 5172 | -4435 | 0.247 | 176 | 2 | 0.011
5/27/2025 | 7 | 69086 | 12109 | -10901 | 14309 | 5183 | -4665 | 0.211 | 817 | 106 | 0.13
5/27/2025 | 8 | 72621 | 11257 | -10409 | 12682 | 4818 | -4455 | 0.178 | 77 | 0 | 0
5/27/2025 | 9 | 74085 | 10885 | -10453 | 12289 | 4659 | -4474 | 0.167 | 0 | 0 | 0
5/27/2025 | 10 | 74775 | 10954 | -10735 | 11816 | 4688 | -4595 | 0.159 | 0 | 0 | 0
5/27/2025 | 11 | 74378 | 11086 | -10860 | 11604 | 4745 | -4648 | 0.157 | 0 | 0 | 0
5/27/2025 | 12 | 74264 | 11250 | -11006 | 12039 | 4815 | -4710 | 0.163 | 0 | 0 | 0
5/27/2025 | 13 | 76226 | 11411 | -11400 | 12523 | 4884 | -4879 | 0.164 | 0 | 0 | 0
5/27/2025 | 14 | 78050 | 11268 | -11010 | 12864 | 4823 | -4712 | 0.166 | 0 | 0 | 0
5/27/2025 | 15 | 81085 | 11734 | -11432 | 13988 | 5022 | -4893 | 0.173 | 0 | 0 | 0
5/27/2025 | 16 | 85861 | 12252 | -11899 | 14473 | 5244 | -5093 | 0.17 | 0 | 0 | 0
5/27/2025 | 17 | 89569 | 13335 | -12528 | 16052 | 5707 | -5362 | 0.181 | 0 | 0 | 0
5/27/2025 | 18 | 92877 | 13195 | -12351 | 17633 | 5648 | -5286 | 0.192 | 0 | 0 | 0
5/27/2025 | 19 | 94048 | 13667 | -12558 | 19483 | 5850 | -5375 | 0.21 | 7 | 0 | 0
5/27/2025 | 20 | 93380 | 13888 | -12736 | 20832 | 5944 | -5451 | 0.226 | 477 | 0 | 0
5/27/2025 | 21 | 91122 | 13642 | -12464 | 20958 | 5839 | -5335 | 0.233 | 719 | 96 | 0.134
5/27/2025 | 22 | 87243 | 12860 | -11611 | 20779 | 5504 | -4970 | 0.241 | 1137 | 285 | 0.251
5/27/2025 | 23 | 80874 | 13184 | -11642 | 20547 | 5643 | -4983 | 0.257 | 1862 | 659 | 0.354
5/27/2025 | 24 | 74434 | 12560 | -10593 | 20157 | 5375 | -4534 | 0.275 | 2210 | 838 | 0.379
5/28/2025 | 1 | 69697 | 13068 | -10985 | 19168 | 5593 | -4702 | 0.279 | 1277 | 436 | 0.341
5/28/2025 | 2 | 66477 | 12780 | -10861 | 18658 | 5470 | -4649 | 0.285 | 743 | 188 | 0.253
5/28/2025 | 3 | 64106 | 12417 | -10520 | 18401 | 5314 | -4503 | 0.291 | 874 | 226 | 0.259
5/28/2025 | 4 | 62956 | 11466 | -9581 | 18140 | 4907 | -4101 | 0.292 | 617 | 153 | 0.248
5/28/2025 | 5 | 63690 | 11639 | -9908 | 18182 | 4981 | -4240 | 0.289 | 496 | 81 | 0.163
5/28/2025 | 6 | 66282 | 12683 | -10866 | 18094 | 5429 | -4651 | 0.277 | 392 | 18 | 0.046
5/28/2025 | 7 | 70281 | 13454 | -11977 | 16210 | 5758 | -5126 | 0.235 | 917 | 192 | 0.209
5/28/2025 | 8 | 74050 | 11880 | -11179 | 13763 | 5085 | -4785 | 0.188 | 377 | 10 | 0.027
5/28/2025 | 9 | 76542 | 11923 | -11449 | 13130 | 5103 | -4900 | 0.173 | 102 | 0 | 0
5/28/2025 | 10 | 77514 | 12293 | -12011 | 12959 | 5262 | -5141 | 0.168 | 0 | 0 | 0
5/28/2025 | 11 | 77050 | 12269 | -11736 | 12720 | 5251 | -5023 | 0.167 | 0 | 0 | 0
5/28/2025 | 12 | 77807 | 12313 | -11775 | 12656 | 5270 | -5040 | 0.164 | 0 | 0 | 0
5/28/2025 | 13 | 81719 | 12731 | -12237 | 13431 | 5449 | -5237 | 0.166 | 0 | 0 | 0
5/28/2025 | 14 | 85220 | 13148 | -12810 | 14194 | 5627 | -5483 | 0.168 | 0 | 0 | 0
5/28/2025 | 15 | 88271 | 12897 | -12755 | 15074 | 5520 | -5459 | 0.171 | 0 | 0 | 0
5/28/2025 | 16 | 89525 | 13546 | -13205 | 15971 | 5798 | -5652 | 0.179 | 0 | 0 | 0
5/28/2025 | 17 | 91980 | 15239 | -14642 | 17375 | 6523 | -6267 | 0.19 | 0 | 0 | 0
5/28/2025 | 18 | 94247 | 14678 | -14162 | 18511 | 6282 | -6061 | 0.198 | 0 | 0 | 0
5/28/2025 | 19 | 95641 | 14609 | -13948 | 20140 | 6252 | -5970 | 0.212 | 47 | 0 | 0
5/28/2025 | 20 | 94301 | 14796 | -14189 | 21205 | 6333 | -6073 | 0.226 | 169 | 7 | 0.041
5/28/2025 | 21 | 92529 | 14358 | -13570 | 20950 | 6145 | -5808 | 0.228 | 616 | 44 | 0.071
5/28/2025 | 22 | 88399 | 15238 | -14209 | 20259 | 6522 | -6082 | 0.231 | 620 | 36 | 0.058
5/28/2025 | 23 | 82441 | 14868 | -13780 | 19925 | 6363 | -5898 | 0.244 | 270 | 35 | 0.13
5/28/2025 | 24 | 75963 | 14538 | -13211 | 18838 | 6222 | -5654 | 0.251 | 249 | 58 | 0.233
5/29/2025 | 1 | 71552 | 14670 | -13021 | 16531 | 6279 | -5573 | 0.235 | 595 | 122 | 0.205
5/29/2025 | 2 | 68589 | 13115 | -11896 | 15425 | 5613 | -5092 | 0.228 | 577 | 63 | 0.109
5/29/2025 | 3 | 65847 | 13133 | -11788 | 14526 | 5621 | -5045 | 0.225 | 374 | 9 | 0.024
5/29/2025 | 4 | 64979 | 13543 | -12158 | 15990 | 5796 | -5203 | 0.25 | 341 | 2 | 0.006
5/29/2025 | 5 | 65851 | 13462 | -12296 | 15093 | 5762 | -5263 | 0.233 | 261 | 0 | 0
5/29/2025 | 6 | 68090 | 14129 | -12684 | 15505 | 6047 | -5429 | 0.232 | 186 | 2 | 0.011
5/29/2025 | 7 | 71194 | 14855 | -13490 | 14034 | 6358 | -5774 | 0.201 | 424 | 44 | 0.104
5/29/2025 | 8 | 74857 | 13409 | -12735 | 11913 | 5739 | -5450 | 0.162 | 149 | 1 | 0.007
5/29/2025 | 9 | 76499 | 12543 | -11788 | 10805 | 5369 | -5045 | 0.144 | 0 | 0 | 0
5/29/2025 | 10 | 77036 | 12852 | -11874 | 10601 | 5501 | -5082 | 0.141 | 0 | 0 | 0
5/29/2025 | 11 | 77697 | 13393 | -12282 | 10974 | 5732 | -5257 | 0.145 | 0 | 0 | 0
5/29/2025 | 12 | 78887 | 13481 | -12240 | 11851 | 5770 | -5239 | 0.155 | 0 | 0 | 0
5/29/2025 | 13 | 80670 | 13761 | -12602 | 12572 | 5890 | -5393 | 0.16 | 0 | 0 | 0
5/29/2025 | 14 | 82813 | 13458 | -12287 | 13032 | 5760 | -5259 | 0.161 | 0 | 0 | 0
5/29/2025 | 15 | 85354 | 13993 | -12746 | 13346 | 5989 | -5456 | 0.16 | 0 | 0 | 0
5/29/2025 | 16 | 89194 | 14228 | -14068 | 14080 | 6090 | -6021 | 0.158 | 0 | 0 | 0
5/29/2025 | 17 | 92483 | 14797 | -15066 | 14983 | 6333 | -6449 | 0.161 | 0 | 0 | 0
5/29/2025 | 18 | 94975 | 16025 | -15435 | 16355 | 6858 | -6606 | 0.174 | 125 | 0 | 0
5/29/2025 | 19 | 96434 | 15989 | -14893 | 18989 | 6844 | -6374 | 0.2 | 438 | 0 | 0
5/29/2025 | 20 | 94786 | 17777 | -16288 | 20241 | 7608 | -6971 | 0.217 | 519 | 2 | 0.004
5/29/2025 | 21 | 92574 | 17721 | -15914 | 19804 | 7584 | -6811 | 0.218 | 741 | 84 | 0.113
5/29/2025 | 22 | 88839 | 16586 | -14711 | 19402 | 7099 | -6297 | 0.223 | 1380 | 322 | 0.233
5/29/2025 | 23 | 82527 | 15855 | -13640 | 19057 | 6786 | -5838 | 0.236 | 1116 | 275 | 0.246
5/29/2025 | 24 | 76105 | 15555 | -13104 | 18340 | 6658 | -5608 | 0.247 | 1416 | 412 | 0.291
5/30/2025 | 1 | 71390 | 15668 | -12634 | 17770 | 6706 | -5407 | 0.256 | 1191 | 343 | 0.288
5/30/2025 | 2 | 67902 | 14968 | -11993 | 17649 | 6406 | -5133 | 0.267 | 1307 | 377 | 0.288
5/30/2025 | 3 | 65221 | 14742 | -11705 | 17350 | 6309 | -5010 | 0.273 | 1260 | 363 | 0.288
5/30/2025 | 4 | 64048 | 14712 | -11463 | 16846 | 6297 | -4906 | 0.271 | 1156 | 329 | 0.285
5/30/2025 | 5 | 64365 | 14630 | -11340 | 17188 | 6262 | -4853 | 0.275 | 1205 | 325 | 0.27
5/30/2025 | 6 | 66219 | 15002 | -11436 | 17232 | 6421 | -4894 | 0.269 | 875 | 196 | 0.224
5/30/2025 | 7 | 70116 | 14147 | -11068 | 16137 | 6055 | -4737 | 0.238 | 1256 | 304 | 0.242
5/30/2025 | 8 | 74134 | 12365 | -10108 | 13776 | 5292 | -4326 | 0.193 | 192 | 0 | 0
5/30/2025 | 9 | 75971 | 11617 | -9780 | 13390 | 4972 | -4186 | 0.182 | 0 | 0 | 0
5/30/2025 | 10 | 76640 | 11632 | -9769 | 13688 | 4979 | -4181 | 0.185 | 0 | 0 | 0
5/30/2025 | 11 | 77651 | 11517 | -9723 | 13832 | 4929 | -4161 | 0.184 | 0 | 0 | 0
5/30/2025 | 12 | 80469 | 11170 | -9710 | 14509 | 4781 | -4156 | 0.185 | 0 | 0 | 0
5/30/2025 | 13 | 84832 | 11962 | -10733 | 14819 | 5120 | -4594 | 0.178 | 0 | 0 | 0
5/30/2025 | 14 | 89081 | 11608 | -10288 | 15411 | 4969 | -4403 | 0.177 | 0 | 0 | 0
5/30/2025 | 15 | 93108 | 12171 | -10730 | 16074 | 5209 | -4593 | 0.177 | 0 | 0 | 0
5/30/2025 | 16 | 99472 | 12559 | -11138 | 17929 | 5375 | -4767 | 0.184 | 0 | 0 | 0
5/30/2025 | 17 | 104160 | 13436 | -12026 | 19129 | 5751 | -5147 | 0.187 | 0 | 0 | 0
5/30/2025 | 18 | 106749 | 14753 | -13278 | 20808 | 6314 | -5683 | 0.198 | 28 | 0 | 0
5/30/2025 | 19 | 107898 | 15130 | -13871 | 23140 | 6476 | -5937 | 0.217 | 421 | 0 | 0
5/30/2025 | 20 | 105484 | 16177 | -14780 | 25119 | 6924 | -6326 | 0.241 | 627 | 73 | 0.116
5/30/2025 | 21 | 100248 | 15827 | -14174 | 25095 | 6774 | -6066 | 0.253 | 684 | 67 | 0.098
5/30/2025 | 22 | 95509 | 15086 | -13169 | 24595 | 6457 | -5636 | 0.261 | 800 | 114 | 0.142
5/30/2025 | 23 | 88498 | 14909 | -12668 | 23564 | 6381 | -5422 | 0.27 | 967 | 181 | 0.187
5/30/2025 | 24 | 82118 | 13341 | -10906 | 22857 | 5710 | -4668 | 0.283 | 524 | 54 | 0.103
5/31/2025 | 1 | 76549 | 14130 | -11664 | 21835 | 6048 | -4992 | 0.29 | 583 | 51 | 0.087
5/31/2025 | 2 | 72289 | 13564 | -11108 | 21050 | 5806 | -4754 | 0.296 | 469 | 20 | 0.043
5/31/2025 | 3 | 68866 | 13697 | -11058 | 20537 | 5862 | -4733 | 0.303 | 627 | 61 | 0.097
5/31/2025 | 4 | 67084 | 13656 | -11127 | 20175 | 5845 | -4763 | 0.305 | 724 | 99 | 0.137
5/31/2025 | 5 | 66254 | 13663 | -11284 | 19890 | 5848 | -4830 | 0.305 | 435 | 25 | 0.057
5/31/2025 | 6 | 65927 | 13961 | -11583 | 19235 | 5975 | -4957 | 0.297 | 516 | 43 | 0.083
5/31/2025 | 7 | 66336 | 12866 | -10761 | 16851 | 5506 | -4606 | 0.259 | 934 | 197 | 0.211
5/31/2025 | 8 | 69360 | 11903 | -10300 | 14158 | 5094 | -4408 | 0.209 | 489 | 58 | 0.119
5/31/2025 | 9 | 72384 | 11326 | -10319 | 13572 | 4847 | -4416 | 0.191 | 54 | 1 | 0.019
5/31/2025 | 10 | 74854 | 12463 | -11546 | 13816 | 5334 | -4942 | 0.188 | 70 | 0 | 0
5/31/2025 | 11 | 77744 | 13537 | -12390 | 14035 | 5794 | -5303 | 0.184 | 0 | 0 | 0
5/31/2025 | 12 | 81928 | 13823 | -12958 | 14509 | 5916 | -5546 | 0.18 | 76 | 0 | 0
5/31/2025 | 13 | 85494 | 14371 | -13211 | 15074 | 6151 | -5654 | 0.18 | 3 | 0 | 0
5/31/2025 | 14 | 89562 | 14561 | -13154 | 15797 | 6232 | -5630 | 0.18 | 0 | 0 | 0
5/31/2025 | 15 | 93863 | 14914 | -13724 | 16853 | 6383 | -5874 | 0.183 | 126 | 0 | 0
5/31/2025 | 16 | 96801 | 15758 | -14866 | 17781 | 6744 | -6363 | 0.186 | 304 | 0 | 0
5/31/2025 | 17 | 101692 | 16030 | -15300 | 19695 | 6860 | -6548 | 0.195 | 170 | 18 | 0.106
5/31/2025 | 18 | 103447 | 16753 | -16332 | 20731 | 7170 | -6990 | 0.201 | 848 | 192 | 0.226
5/31/2025 | 19 | 102771 | 19155 | -17791 | 22296 | 8198 | -7615 | 0.22 | 1048 | 143 | 0.136
5/31/2025 | 20 | 100101 | 19865 | -18135 | 23174 | 8502 | -7762 | 0.235 | 927 | 174 | 0.188
5/31/2025 | 21 | 96625 | 19020 | -17257 | 23142 | 8140 | -7386 | 0.243 | 2030 | 653 | 0.322
5/31/2025 | 22 | 92533 | 18482 | -16449 | 21968 | 7910 | -7040 | 0.242 | 2319 | 690 | 0.298
5/31/2025 | 23 | 86583 | 17810 | -15721 | 21203 | 7623 | -6728 | 0.249 | 1311 | 252 | 0.192
5/31/2025 | 24 | 80729 | 15411 | -13609 | 20193 | 6596 | -5825 | 0.254 | 1121 | 284 | 0.253