## KEY
Average Emissions Rate Calculation
Background:
The CAISO is publishing this metric of an average emissions rate (AER) based on the discussion in the GHG working groups. CAISO discussed the metric at the November 27, 2023 GHG Coordination Working Group. A brief explanation of the methodology is included below:
Methodology:
1) Which resources are reflected in this example AER metric (all schedules are from the 5-minute market)
- All supply resources are included
- All demand response resources are excluded
- All energy storage resources are included (emissions rate used is 0 MTCO2e/MWh)
- Resources that were attributed to serve California are included
2) The AER measures all schedules ie. The total dispatach of the resources and not relative to WEIM base schedule
3) Bilateral transactions are included (emissions rate used is 0.428 MTCO2e/MWh) unless they are resource specific.
4) CAISO filled in missing heat rate and emissions rate data by using wtd averages from existing data
Key
TRADE_DT | Trade date of the reported data in MM/DD/YYYY format
TRADE_HR | Trade hour of the reported data. Data is reported as the "hour-ending", e.g. TRADE_HR = 2 is for the hour-ending 1:59:59AM Pacific time
GEN_MWH | MWh of electricity generation in the WEIM area* (including CAISO)
IMP_MWH | MWh of electricity imports into the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
EXP_MWH | MWh of electricity exports from the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
GEN_GHG | Greenhouse gas emissions in MTCO2e of electricity generation in the WEIM area
IMP_GHG | Greenhouse gas emissions in MTCO2e of electricity imports into the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
EXP_GHG | Greenhouse gas emissions in MTCO2e of electricity exports from the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
AVG_EM_RATE | Average emissions rate calculated as columns G through I divided by columns C through E
ATTR_MWH | MWh of WEIM transfers into California which, by definition, is equal to the sum of the GHG attributions
ATTR_GHG | Greenhouse gas emissions in MTCO2e of WEIM transfers into California (resource-specific)
ATTR_AVG_EM_RATE | Average emissions rate of WEIM transfers into California
CAISO PUBLIC

## AER_SUMMARY
TRADE_DT | TRADE_HR | GEN_MWH | IMP_MWH | EXP_MWH | GEN_GHG | IMP_GHG | EXP_GHG | AVG_EM_RATE | ATTR_MWH | ATTR_GHG | ATTR_AVG_EM_RATE
11/1/2024 | 1 | 65421 | 11524 | -9318 | 18616 | 4932 | -3988 | 0.289 | 1010 | 138 | 0.137
11/1/2024 | 2 | 63061 | 11461 | -8958 | 18555 | 4905 | -3834 | 0.299 | 934 | 141 | 0.151
11/1/2024 | 3 | 61746 | 11466 | -8901 | 18670 | 4908 | -3809 | 0.307 | 890 | 132 | 0.148
11/1/2024 | 4 | 61585 | 11130 | -8645 | 18872 | 4764 | -3700 | 0.311 | 689 | 101 | 0.147
11/1/2024 | 5 | 63126 | 10785 | -8300 | 18879 | 4616 | -3552 | 0.304 | 603 | 108 | 0.179
11/1/2024 | 6 | 67457 | 11304 | -9259 | 19649 | 4838 | -3963 | 0.295 | 488 | 46 | 0.094
11/1/2024 | 7 | 73294 | 12422 | -10126 | 20174 | 5317 | -4334 | 0.28 | 515 | 41 | 0.08
11/1/2024 | 8 | 76994 | 11990 | -9672 | 20458 | 5132 | -4140 | 0.27 | 439 | 19 | 0.043
11/1/2024 | 9 | 77414 | 11113 | -9400 | 18068 | 4756 | -4024 | 0.238 | 283 | 7 | 0.025
11/1/2024 | 10 | 76009 | 11393 | -9846 | 15703 | 4876 | -4214 | 0.211 | 0 | 0 | 0
11/1/2024 | 11 | 73412 | 11304 | -9814 | 14543 | 4838 | -4200 | 0.203 | 0 | 0 | 0
11/1/2024 | 12 | 71876 | 11173 | -9494 | 13875 | 4782 | -4063 | 0.198 | 0 | 0 | 0
11/1/2024 | 13 | 71181 | 11490 | -10011 | 13702 | 4918 | -4285 | 0.197 | 0 | 0 | 0
11/1/2024 | 14 | 71256 | 11636 | -10266 | 14585 | 4980 | -4394 | 0.209 | 0 | 0 | 0
11/1/2024 | 15 | 72422 | 11533 | -10175 | 15510 | 4936 | -4355 | 0.218 | 0 | 0 | 0
11/1/2024 | 16 | 74822 | 11321 | -10150 | 17169 | 4845 | -4344 | 0.233 | 0 | 0 | 0
11/1/2024 | 17 | 77287 | 11870 | -10374 | 19297 | 5080 | -4440 | 0.253 | 174 | 0 | 0
11/1/2024 | 18 | 79955 | 12566 | -10716 | 21159 | 5378 | -4586 | 0.268 | 445 | 21 | 0.047
11/1/2024 | 19 | 80784 | 13349 | -11400 | 21397 | 5714 | -4879 | 0.269 | 391 | 0 | 0
11/1/2024 | 20 | 78470 | 13296 | -10979 | 20869 | 5691 | -4699 | 0.271 | 504 | 27 | 0.054
11/1/2024 | 21 | 76178 | 13655 | -11182 | 20507 | 5844 | -4786 | 0.274 | 789 | 69 | 0.087
11/1/2024 | 22 | 73890 | 13488 | -10981 | 20566 | 5773 | -4700 | 0.283 | 1113 | 206 | 0.185
11/1/2024 | 23 | 70175 | 12597 | -9788 | 19817 | 5392 | -4189 | 0.288 | 1252 | 186 | 0.149
11/1/2024 | 24 | 66807 | 12013 | -9523 | 19803 | 5142 | -4076 | 0.301 | 851 | 101 | 0.119
11/2/2024 | 1 | 64246 | 11898 | -9112 | 19115 | 5092 | -3900 | 0.303 | 718 | 134 | 0.187
11/2/2024 | 2 | 62096 | 11476 | -8761 | 18561 | 4912 | -3750 | 0.304 | 695 | 109 | 0.157
11/2/2024 | 3 | 60936 | 11280 | -8787 | 18307 | 4828 | -3761 | 0.305 | 512 | 37 | 0.072
11/2/2024 | 4 | 59993 | 11417 | -8769 | 18446 | 4886 | -3753 | 0.313 | 418 | 12 | 0.029
11/2/2024 | 5 | 60869 | 11393 | -9065 | 18684 | 4876 | -3880 | 0.311 | 649 | 0 | 0
11/2/2024 | 6 | 62713 | 11608 | -9299 | 18778 | 4968 | -3980 | 0.304 | 468 | 42 | 0.09
11/2/2024 | 7 | 66006 | 12017 | -9956 | 18568 | 5143 | -4261 | 0.286 | 421 | 30 | 0.071
11/2/2024 | 8 | 68900 | 12037 | -10201 | 18806 | 5152 | -4366 | 0.277 | 486 | 26 | 0.053
11/2/2024 | 9 | 70309 | 11613 | -10265 | 16756 | 4970 | -4394 | 0.242 | 240 | 0 | 0
11/2/2024 | 10 | 70281 | 11862 | -10601 | 15483 | 5077 | -4537 | 0.224 | 0 | 0 | 0
11/2/2024 | 11 | 68954 | 11836 | -10630 | 13851 | 5066 | -4550 | 0.205 | 0 | 0 | 0
11/2/2024 | 12 | 67368 | 11986 | -10777 | 12559 | 5130 | -4613 | 0.191 | 0 | 0 | 0
11/2/2024 | 13 | 66364 | 12280 | -11361 | 11718 | 5256 | -4862 | 0.18 | 0 | 0 | 0
11/2/2024 | 14 | 66361 | 12257 | -11291 | 11633 | 5246 | -4833 | 0.179 | 0 | 0 | 0
11/2/2024 | 15 | 68079 | 12766 | -12316 | 11946 | 5464 | -5271 | 0.177 | 0 | 0 | 0
11/2/2024 | 16 | 69940 | 12486 | -11811 | 12649 | 5344 | -5055 | 0.183 | 0 | 0 | 0
11/2/2024 | 17 | 71961 | 13219 | -12145 | 14900 | 5658 | -5198 | 0.21 | 0 | 0 | 0
11/2/2024 | 18 | 76037 | 13558 | -12016 | 17399 | 5803 | -5143 | 0.233 | 204 | 0 | 0
11/2/2024 | 19 | 77684 | 13840 | -12033 | 18110 | 5924 | -5150 | 0.238 | 436 | 9 | 0.021
11/2/2024 | 20 | 76170 | 13927 | -12061 | 17650 | 5961 | -5162 | 0.236 | 527 | 40 | 0.076
11/2/2024 | 21 | 74229 | 13465 | -11613 | 17892 | 5763 | -4970 | 0.246 | 581 | 21 | 0.036
11/2/2024 | 22 | 71993 | 13580 | -11434 | 17745 | 5812 | -4894 | 0.252 | 715 | 34 | 0.048
11/2/2024 | 23 | 68632 | 12993 | -10653 | 17755 | 5561 | -4560 | 0.264 | 645 | 54 | 0.084
11/2/2024 | 24 | 65368 | 12857 | -10349 | 17729 | 5503 | -4429 | 0.277 | 780 | 81 | 0.104
11/3/2024 | 1 | 63094 | 12457 | -9791 | 16742 | 5331 | -4190 | 0.272 | 709 | 55 | 0.078
11/3/2024 | 2 | 61004 | 12384 | -9785 | 16625 | 5300 | -4188 | 0.279 | 656 | 50 | 0.076
11/3/2024 | 3 | 59142 | 11996 | -9829 | 15781 | 5134 | -4207 | 0.273 | 579 | 62 | 0.107
11/3/2024 | 4 | 59677 | 11944 | -10014 | 15971 | 5112 | -4286 | 0.273 | 536 | 43 | 0.08
11/3/2024 | 5 | 60512 | 11787 | -9831 | 16460 | 5045 | -4208 | 0.277 | 672 | 66 | 0.098
11/3/2024 | 6 | 62351 | 11754 | -9697 | 17074 | 5031 | -4150 | 0.279 | 874 | 99 | 0.113
11/3/2024 | 7 | 65114 | 11002 | -9312 | 16957 | 4709 | -3985 | 0.265 | 442 | 11 | 0.025
11/3/2024 | 8 | 67896 | 10747 | -9765 | 14755 | 4600 | -4180 | 0.22 | 0 | 0 | 0
11/3/2024 | 9 | 68041 | 11143 | -10337 | 12250 | 4769 | -4424 | 0.183 | 0 | 0 | 0
11/3/2024 | 10 | 66137 | 11016 | -10226 | 11343 | 4715 | -4377 | 0.175 | 0 | 0 | 0
11/3/2024 | 11 | 65459 | 11146 | -10919 | 10923 | 4770 | -4673 | 0.168 | 0 | 0 | 0
11/3/2024 | 12 | 64976 | 11495 | -11261 | 10957 | 4920 | -4820 | 0.17 | 0 | 0 | 0
11/3/2024 | 13 | 64517 | 11631 | -11243 | 11158 | 4978 | -4812 | 0.174 | 0 | 0 | 0
11/3/2024 | 14 | 65712 | 11227 | -10913 | 11662 | 4805 | -4671 | 0.179 | 0 | 0 | 0
11/3/2024 | 15 | 68294 | 11422 | -11249 | 12073 | 4888 | -4814 | 0.177 | 0 | 0 | 0
11/3/2024 | 16 | 72015 | 11469 | -10853 | 14038 | 4909 | -4645 | 0.197 | 0 | 0 | 0
11/3/2024 | 17 | 77338 | 12254 | -11148 | 18860 | 5245 | -4771 | 0.246 | 31 | 1 | 0.032
11/3/2024 | 18 | 80360 | 13292 | -11708 | 20230 | 5689 | -5011 | 0.255 | 367 | 27 | 0.074
11/3/2024 | 19 | 78946 | 13491 | -11488 | 20009 | 5774 | -4917 | 0.258 | 415 | 21 | 0.051
11/3/2024 | 20 | 76758 | 13157 | -10810 | 19970 | 5631 | -4627 | 0.265 | 366 | 6 | 0.016
11/3/2024 | 21 | 74224 | 13076 | -10592 | 19487 | 5597 | -4533 | 0.268 | 526 | 16 | 0.03
11/3/2024 | 22 | 70484 | 13142 | -10329 | 18713 | 5624 | -4421 | 0.272 | 667 | 49 | 0.073
11/3/2024 | 23 | 66576 | 13449 | -10637 | 17991 | 5756 | -4553 | 0.277 | 632 | 63 | 0.1
11/3/2024 | 24 | 63120 | 13572 | -10653 | 17483 | 5809 | -4560 | 0.284 | 666 | 72 | 0.108
11/3/2024 | 25 | 60323 | 12302 | -9884 | 16253 | 5265 | -4230 | 0.276 | 635 | 41 | 0.065
11/4/2024 | 1 | 61679 | 13347 | -10718 | 17122 | 5713 | -4587 | 0.284 | 615 | 61 | 0.099
11/4/2024 | 2 | 60714 | 13004 | -10412 | 16871 | 5566 | -4456 | 0.284 | 699 | 89 | 0.127
11/4/2024 | 3 | 59964 | 12862 | -10319 | 16585 | 5505 | -4416 | 0.283 | 656 | 53 | 0.081
11/4/2024 | 4 | 60705 | 12534 | -10158 | 17041 | 5365 | -4348 | 0.286 | 534 | 14 | 0.026
11/4/2024 | 5 | 63794 | 12087 | -10002 | 17927 | 5173 | -4281 | 0.286 | 374 | 21 | 0.056
11/4/2024 | 6 | 69431 | 12262 | -10332 | 19867 | 5248 | -4422 | 0.29 | 483 | 63 | 0.13
11/4/2024 | 7 | 74835 | 13060 | -10852 | 20532 | 5590 | -4645 | 0.279 | 1031 | 40 | 0.039
11/4/2024 | 8 | 76491 | 12854 | -11003 | 17635 | 5501 | -4710 | 0.235 | 404 | 10 | 0.025
11/4/2024 | 9 | 74748 | 12476 | -10921 | 14495 | 5340 | -4674 | 0.199 | 0 | 0 | 0
11/4/2024 | 10 | 73090 | 12415 | -11171 | 13582 | 5314 | -4781 | 0.19 | 0 | 0 | 0
11/4/2024 | 11 | 71721 | 12778 | -12092 | 13151 | 5469 | -5176 | 0.186 | 0 | 0 | 0
11/4/2024 | 12 | 70487 | 12961 | -12098 | 12877 | 5547 | -5178 | 0.186 | 0 | 0 | 0
11/4/2024 | 13 | 70477 | 13148 | -12416 | 12808 | 5627 | -5314 | 0.184 | 0 | 0 | 0
11/4/2024 | 14 | 71291 | 13599 | -12962 | 12705 | 5820 | -5548 | 0.18 | 0 | 0 | 0
11/4/2024 | 15 | 72368 | 14302 | -13419 | 13328 | 6121 | -5743 | 0.187 | 0 | 0 | 0
11/4/2024 | 16 | 76359 | 14127 | -13022 | 16479 | 6046 | -5574 | 0.219 | 185 | 31 | 0.168
11/4/2024 | 17 | 81514 | 15046 | -13670 | 20380 | 6440 | -5851 | 0.253 | 715 | 35 | 0.049
11/4/2024 | 18 | 84312 | 15681 | -14026 | 21267 | 6711 | -6003 | 0.256 | 727 | 6 | 0.008
11/4/2024 | 19 | 83047 | 15345 | -13543 | 20982 | 6568 | -5796 | 0.256 | 834 | 81 | 0.097
11/4/2024 | 20 | 80756 | 15580 | -13632 | 21028 | 6668 | -5834 | 0.264 | 887 | 101 | 0.114
11/4/2024 | 21 | 78078 | 15338 | -13452 | 20810 | 6565 | -5757 | 0.27 | 995 | 151 | 0.152
11/4/2024 | 22 | 74236 | 14972 | -12840 | 20389 | 6408 | -5495 | 0.279 | 1197 | 271 | 0.226
11/4/2024 | 23 | 69970 | 14045 | -11804 | 19687 | 6011 | -5052 | 0.286 | 853 | 209 | 0.245
11/4/2024 | 24 | 66432 | 13542 | -11378 | 19720 | 5796 | -4870 | 0.301 | 1004 | 237 | 0.236
11/5/2024 | 1 | 64375 | 13779 | -11625 | 19292 | 5897 | -4975 | 0.304 | 872 | 202 | 0.232
11/5/2024 | 2 | 62795 | 13655 | -11596 | 19222 | 5845 | -4963 | 0.31 | 593 | 95 | 0.16
11/5/2024 | 3 | 62414 | 13265 | -11310 | 18363 | 5677 | -4841 | 0.298 | 489 | 37 | 0.076
11/5/2024 | 4 | 63007 | 13098 | -11243 | 18243 | 5606 | -4812 | 0.294 | 485 | 30 | 0.062
11/5/2024 | 5 | 65578 | 12806 | -11144 | 18479 | 5481 | -4770 | 0.285 | 519 | 20 | 0.039
11/5/2024 | 6 | 71559 | 12881 | -11687 | 19981 | 5513 | -5002 | 0.282 | 305 | 29 | 0.095
11/5/2024 | 7 | 76976 | 13584 | -12509 | 20036 | 5814 | -5354 | 0.263 | 364 | 9 | 0.025
11/5/2024 | 8 | 78484 | 12564 | -11522 | 17241 | 5377 | -4932 | 0.222 | 0 | 0 | 0
11/5/2024 | 9 | 77281 | 12526 | -11715 | 14852 | 5361 | -5014 | 0.195 | 0 | 0 | 0
11/5/2024 | 10 | 75045 | 12396 | -11591 | 14712 | 5305 | -4961 | 0.198 | 0 | 0 | 0
11/5/2024 | 11 | 72943 | 12612 | -11668 | 13966 | 5398 | -4994 | 0.194 | 0 | 0 | 0
11/5/2024 | 12 | 71875 | 12524 | -11468 | 13675 | 5360 | -4908 | 0.194 | 0 | 0 | 0
11/5/2024 | 13 | 71738 | 12310 | -11178 | 13942 | 5269 | -4784 | 0.198 | 0 | 0 | 0
11/5/2024 | 14 | 72828 | 12046 | -11073 | 13933 | 5156 | -4740 | 0.194 | 0 | 0 | 0
11/5/2024 | 15 | 74840 | 12236 | -11222 | 14959 | 5237 | -4803 | 0.203 | 0 | 0 | 0
11/5/2024 | 16 | 78080 | 12043 | -10917 | 18217 | 5154 | -4673 | 0.236 | 112 | 0 | 0
11/5/2024 | 17 | 82163 | 12820 | -11507 | 21125 | 5487 | -4925 | 0.26 | 209 | 0 | 0
11/5/2024 | 18 | 84501 | 13417 | -11565 | 22096 | 5742 | -4950 | 0.265 | 416 | 6 | 0.014
11/5/2024 | 19 | 84165 | 13159 | -11523 | 22298 | 5632 | -4932 | 0.268 | 409 | 0 | 0
11/5/2024 | 20 | 82321 | 12778 | -11197 | 22486 | 5469 | -4792 | 0.276 | 293 | 0 | 0
11/5/2024 | 21 | 79775 | 12685 | -11118 | 22392 | 5429 | -4759 | 0.284 | 347 | 0 | 0
11/5/2024 | 22 | 76281 | 12442 | -10834 | 22164 | 5325 | -4636 | 0.293 | 332 | 5 | 0.015
11/5/2024 | 23 | 72460 | 11216 | -9799 | 21956 | 4800 | -4194 | 0.305 | 325 | 0 | 0
11/5/2024 | 24 | 69270 | 10696 | -9525 | 21387 | 4578 | -4077 | 0.311 | 416 | 14 | 0.034
11/6/2024 | 1 | 66889 | 10006 | -8664 | 21230 | 4282 | -3709 | 0.32 | 638 | 23 | 0.036
11/6/2024 | 2 | 65106 | 10153 | -8541 | 20361 | 4346 | -3656 | 0.316 | 831 | 57 | 0.069
11/6/2024 | 3 | 64139 | 10206 | -8593 | 20408 | 4368 | -3678 | 0.321 | 396 | 36 | 0.091
11/6/2024 | 4 | 64502 | 10253 | -8540 | 20635 | 4388 | -3655 | 0.323 | 170 | 22 | 0.129
11/6/2024 | 5 | 66673 | 10698 | -8703 | 21545 | 4579 | -3725 | 0.326 | 177 | 0 | 0
11/6/2024 | 6 | 71827 | 11247 | -9109 | 22785 | 4814 | -3899 | 0.32 | 163 | 0 | 0
11/6/2024 | 7 | 77184 | 11832 | -9634 | 23158 | 5064 | -4124 | 0.304 | 611 | 44 | 0.072
11/6/2024 | 8 | 78264 | 11657 | -9244 | 20210 | 4989 | -3956 | 0.263 | 311 | 0 | 0
11/6/2024 | 9 | 75556 | 11676 | -9344 | 16684 | 4997 | -3999 | 0.227 | 0 | 0 | 0
11/6/2024 | 10 | 72217 | 12031 | -10080 | 14978 | 5149 | -4314 | 0.213 | 0 | 0 | 0
11/6/2024 | 11 | 69279 | 12127 | -10142 | 14709 | 5190 | -4341 | 0.218 | 0 | 0 | 0
11/6/2024 | 12 | 67991 | 12653 | -10703 | 14556 | 5415 | -4581 | 0.22 | 0 | 0 | 0
11/6/2024 | 13 | 67426 | 12731 | -10600 | 14477 | 5449 | -4537 | 0.221 | 0 | 0 | 0
11/6/2024 | 14 | 68289 | 13039 | -10934 | 14404 | 5581 | -4680 | 0.217 | 0 | 0 | 0
11/6/2024 | 15 | 70597 | 13224 | -11342 | 15450 | 5660 | -4854 | 0.224 | 0 | 0 | 0
11/6/2024 | 16 | 74576 | 12479 | -10543 | 18142 | 5341 | -4512 | 0.248 | 0 | 0 | 0
11/6/2024 | 17 | 80468 | 12799 | -10941 | 21987 | 5478 | -4683 | 0.277 | 426 | 35 | 0.082
11/6/2024 | 18 | 83907 | 13710 | -11652 | 22899 | 5868 | -4987 | 0.277 | 724 | 27 | 0.037
11/6/2024 | 19 | 83268 | 13882 | -11748 | 22930 | 5942 | -5028 | 0.279 | 595 | 44 | 0.074
11/6/2024 | 20 | 81316 | 13906 | -11668 | 22723 | 5952 | -4994 | 0.283 | 904 | 78 | 0.086
11/6/2024 | 21 | 78899 | 13454 | -11126 | 22973 | 5758 | -4762 | 0.295 | 904 | 94 | 0.104
11/6/2024 | 22 | 75514 | 12633 | -10133 | 22781 | 5407 | -4337 | 0.306 | 832 | 92 | 0.111
11/6/2024 | 23 | 71072 | 12981 | -10298 | 22612 | 5556 | -4408 | 0.322 | 614 | 44 | 0.072
11/6/2024 | 24 | 67671 | 12809 | -10277 | 22607 | 5482 | -4399 | 0.337 | 672 | 51 | 0.076
11/7/2024 | 1 | 65896 | 12680 | -10201 | 22055 | 5427 | -4366 | 0.338 | 902 | 77 | 0.085
11/7/2024 | 2 | 64393 | 12360 | -9899 | 21712 | 5290 | -4237 | 0.341 | 692 | 86 | 0.124
11/7/2024 | 3 | 63651 | 12194 | -9628 | 21224 | 5219 | -4121 | 0.337 | 392 | 79 | 0.202
11/7/2024 | 4 | 64354 | 11744 | -9152 | 21208 | 5026 | -3917 | 0.333 | 459 | 81 | 0.176
11/7/2024 | 5 | 67405 | 11644 | -9514 | 22407 | 4984 | -4072 | 0.335 | 264 | 27 | 0.102
11/7/2024 | 6 | 73092 | 11919 | -10008 | 23726 | 5101 | -4283 | 0.327 | 126 | 3 | 0.024
11/7/2024 | 7 | 79644 | 12005 | -10960 | 24269 | 5138 | -4691 | 0.306 | 582 | 0 | 0
11/7/2024 | 8 | 80460 | 12105 | -11031 | 20832 | 5181 | -4721 | 0.261 | 442 | 9 | 0.02
11/7/2024 | 9 | 77129 | 11821 | -11011 | 17385 | 5060 | -4712 | 0.228 | 1 | 0 | 0
11/7/2024 | 10 | 73232 | 11621 | -10696 | 15291 | 4974 | -4578 | 0.212 | 0 | 0 | 0
11/7/2024 | 11 | 70675 | 12233 | -11504 | 14860 | 5236 | -4924 | 0.212 | 0 | 0 | 0
11/7/2024 | 12 | 68909 | 12279 | -11410 | 15336 | 5255 | -4883 | 0.225 | 0 | 0 | 0
11/7/2024 | 13 | 68128 | 12422 | -11550 | 15031 | 5316 | -4943 | 0.223 | 0 | 0 | 0
11/7/2024 | 14 | 68925 | 12405 | -11606 | 14418 | 5309 | -4967 | 0.212 | 0 | 0 | 0
11/7/2024 | 15 | 70454 | 12688 | -11674 | 15371 | 5431 | -4997 | 0.221 | 0 | 0 | 0
11/7/2024 | 16 | 75247 | 11858 | -10744 | 19139 | 5075 | -4599 | 0.257 | 10 | 0 | 0
11/7/2024 | 17 | 80878 | 12974 | -11861 | 23599 | 5553 | -5077 | 0.294 | 536 | 24 | 0.045
11/7/2024 | 18 | 83806 | 14372 | -13104 | 25168 | 6151 | -5608 | 0.302 | 1021 | 5 | 0.005
11/7/2024 | 19 | 82881 | 14521 | -12910 | 25004 | 6215 | -5525 | 0.304 | 1572 | 199 | 0.127
11/7/2024 | 20 | 81289 | 14634 | -12608 | 25399 | 6264 | -5396 | 0.315 | 1819 | 294 | 0.162
11/7/2024 | 21 | 78947 | 14029 | -11848 | 25679 | 6005 | -5071 | 0.328 | 1808 | 453 | 0.251
11/7/2024 | 22 | 75948 | 13841 | -11774 | 25960 | 5924 | -5039 | 0.344 | 2446 | 935 | 0.382
11/7/2024 | 23 | 71293 | 12531 | -9878 | 25638 | 5363 | -4228 | 0.362 | 2014 | 520 | 0.258
11/7/2024 | 24 | 67754 | 11868 | -9134 | 25002 | 5080 | -3910 | 0.371 | 1800 | 373 | 0.207
11/8/2024 | 1 | 65780 | 11824 | -9087 | 24366 | 5061 | -3889 | 0.373 | 1276 | 164 | 0.129
11/8/2024 | 2 | 64100 | 11817 | -9002 | 23838 | 5058 | -3853 | 0.374 | 1264 | 163 | 0.129
11/8/2024 | 3 | 62720 | 12228 | -9094 | 23322 | 5234 | -3892 | 0.375 | 1120 | 106 | 0.095
11/8/2024 | 4 | 63321 | 12334 | -9224 | 23164 | 5279 | -3948 | 0.369 | 1218 | 159 | 0.131
11/8/2024 | 5 | 66213 | 11835 | -9152 | 23599 | 5065 | -3917 | 0.359 | 1121 | 125 | 0.112
11/8/2024 | 6 | 71756 | 12237 | -9786 | 24694 | 5237 | -4189 | 0.347 | 992 | 72 | 0.073
11/8/2024 | 7 | 77612 | 13089 | -10552 | 25843 | 5602 | -4516 | 0.336 | 1199 | 124 | 0.103
11/8/2024 | 8 | 78069 | 12637 | -10236 | 21531 | 5409 | -4381 | 0.28 | 609 | 60 | 0.099
11/8/2024 | 9 | 74821 | 12658 | -10289 | 17178 | 5417 | -4404 | 0.236 | 0 | 0 | 0
11/8/2024 | 10 | 71985 | 12418 | -10357 | 15727 | 5315 | -4433 | 0.224 | 0 | 0 | 0
11/8/2024 | 11 | 69712 | 12517 | -10942 | 15182 | 5357 | -4683 | 0.222 | 0 | 0 | 0
11/8/2024 | 12 | 67670 | 12749 | -11045 | 14954 | 5456 | -4727 | 0.226 | 0 | 0 | 0
11/8/2024 | 13 | 66951 | 12845 | -10903 | 14745 | 5497 | -4667 | 0.226 | 0 | 0 | 0
11/8/2024 | 14 | 67985 | 12923 | -11134 | 15023 | 5531 | -4766 | 0.226 | 0 | 0 | 0
11/8/2024 | 15 | 70260 | 13038 | -11466 | 15410 | 5580 | -4907 | 0.224 | 0 | 0 | 0
11/8/2024 | 16 | 73646 | 12519 | -10532 | 18320 | 5358 | -4508 | 0.253 | 1 | 0 | 0
11/8/2024 | 17 | 78092 | 13780 | -11674 | 21674 | 5898 | -4997 | 0.281 | 762 | 12 | 0.016
11/8/2024 | 18 | 81204 | 14520 | -12456 | 22078 | 6215 | -5331 | 0.276 | 832 | 4 | 0.005
11/8/2024 | 19 | 79926 | 14464 | -12431 | 21911 | 6190 | -5321 | 0.278 | 935 | 64 | 0.068
11/8/2024 | 20 | 78241 | 14029 | -12180 | 22443 | 6005 | -5213 | 0.29 | 902 | 1 | 0.001
11/8/2024 | 21 | 75937 | 14160 | -11894 | 22103 | 6061 | -5091 | 0.295 | 1090 | 23 | 0.021
11/8/2024 | 22 | 73560 | 13707 | -11313 | 22404 | 5867 | -4842 | 0.308 | 1259 | 152 | 0.121
11/8/2024 | 23 | 70352 | 12881 | -10210 | 22606 | 5513 | -4370 | 0.325 | 1449 | 299 | 0.206
11/8/2024 | 24 | 67581 | 12422 | -9896 | 22799 | 5316 | -4236 | 0.341 | 1588 | 320 | 0.202
11/9/2024 | 1 | 66167 | 12267 | -10115 | 22297 | 5250 | -4329 | 0.34 | 974 | 140 | 0.144
11/9/2024 | 2 | 64318 | 12277 | -9966 | 21747 | 5255 | -4266 | 0.341 | 639 | 47 | 0.074
11/9/2024 | 3 | 63380 | 12097 | -9756 | 21564 | 5178 | -4176 | 0.343 | 664 | 44 | 0.066
11/9/2024 | 4 | 63104 | 12114 | -9728 | 21203 | 5185 | -4164 | 0.339 | 649 | 20 | 0.031
11/9/2024 | 5 | 64322 | 11536 | -9463 | 21522 | 4938 | -4050 | 0.338 | 692 | 15 | 0.022
11/9/2024 | 6 | 66580 | 11414 | -9490 | 21640 | 4885 | -4062 | 0.328 | 191 | 0 | 0
11/9/2024 | 7 | 69707 | 11655 | -9893 | 21780 | 4988 | -4234 | 0.315 | 668 | 1 | 0.001
11/9/2024 | 8 | 69813 | 11385 | -9889 | 17337 | 4873 | -4232 | 0.252 | 125 | 0 | 0
11/9/2024 | 9 | 69228 | 11159 | -10024 | 13992 | 4776 | -4291 | 0.206 | 0 | 0 | 0
11/9/2024 | 10 | 67777 | 10936 | -10139 | 13294 | 4680 | -4340 | 0.199 | 0 | 0 | 0
11/9/2024 | 11 | 66025 | 11262 | -10549 | 12981 | 4820 | -4515 | 0.199 | 0 | 0 | 0
11/9/2024 | 12 | 64574 | 10719 | -9866 | 13278 | 4588 | -4223 | 0.209 | 0 | 0 | 0
11/9/2024 | 13 | 64421 | 10963 | -10162 | 13367 | 4692 | -4349 | 0.21 | 0 | 0 | 0
11/9/2024 | 14 | 65587 | 10997 | -10187 | 13194 | 4707 | -4360 | 0.204 | 0 | 0 | 0
11/9/2024 | 15 | 67964 | 10722 | -10004 | 13369 | 4589 | -4282 | 0.199 | 0 | 0 | 0
11/9/2024 | 16 | 71430 | 11244 | -10263 | 16512 | 4812 | -4393 | 0.234 | 6 | 0 | 0
11/9/2024 | 17 | 76795 | 12494 | -11281 | 20941 | 5348 | -4828 | 0.275 | 717 | 1 | 0.001
11/9/2024 | 18 | 79320 | 13280 | -12062 | 21079 | 5684 | -5162 | 0.268 | 778 | 15 | 0.019
11/9/2024 | 19 | 78109 | 13348 | -11973 | 20682 | 5713 | -5124 | 0.268 | 871 | 29 | 0.033
11/9/2024 | 20 | 75850 | 13036 | -11302 | 20485 | 5579 | -4837 | 0.274 | 783 | 7 | 0.009
11/9/2024 | 21 | 73752 | 13159 | -11261 | 20498 | 5632 | -4820 | 0.282 | 815 | 5 | 0.006
11/9/2024 | 22 | 71502 | 12674 | -10858 | 20409 | 5425 | -4647 | 0.289 | 663 | 0 | 0
11/9/2024 | 23 | 68500 | 11675 | -9804 | 20071 | 4997 | -4196 | 0.297 | 597 | 22 | 0.037
11/9/2024 | 24 | 65524 | 11721 | -9761 | 19564 | 5017 | -4178 | 0.302 | 694 | 63 | 0.091
11/10/2024 | 1 | 63716 | 11298 | -9535 | 18954 | 4836 | -4081 | 0.301 | 796 | 62 | 0.078
11/10/2024 | 2 | 61753 | 11111 | -9239 | 18479 | 4756 | -3955 | 0.303 | 939 | 159 | 0.169
11/10/2024 | 3 | 61064 | 11186 | -9190 | 18355 | 4788 | -3933 | 0.305 | 899 | 128 | 0.142
11/10/2024 | 4 | 60740 | 11268 | -9179 | 18261 | 4823 | -3928 | 0.305 | 785 | 96 | 0.122
11/10/2024 | 5 | 61993 | 10983 | -9200 | 18313 | 4701 | -3938 | 0.299 | 790 | 90 | 0.114
11/10/2024 | 6 | 63806 | 11272 | -9584 | 18652 | 4825 | -4102 | 0.296 | 567 | 44 | 0.078
11/10/2024 | 7 | 65715 | 10904 | -9384 | 18743 | 4667 | -4016 | 0.288 | 556 | 48 | 0.086
11/10/2024 | 8 | 66558 | 9658 | -8557 | 15971 | 4134 | -3663 | 0.243 | 359 | 41 | 0.114
11/10/2024 | 9 | 66657 | 9102 | -8634 | 13574 | 3896 | -3695 | 0.205 | 0 | 0 | 0
11/10/2024 | 10 | 65677 | 9115 | -8875 | 13438 | 3902 | -3798 | 0.205 | 0 | 0 | 0
11/10/2024 | 11 | 64329 | 9643 | -9156 | 13332 | 4127 | -3918 | 0.209 | 0 | 0 | 0
11/10/2024 | 12 | 63201 | 9732 | -9195 | 13178 | 4165 | -3936 | 0.21 | 0 | 0 | 0
11/10/2024 | 13 | 63568 | 9739 | -9194 | 13249 | 4168 | -3935 | 0.21 | 0 | 0 | 0
11/10/2024 | 14 | 65113 | 9716 | -9254 | 13527 | 4159 | -3961 | 0.209 | 0 | 0 | 0
11/10/2024 | 15 | 67331 | 9535 | -8876 | 14064 | 4081 | -3799 | 0.211 | 0 | 0 | 0
11/10/2024 | 16 | 71518 | 10134 | -8862 | 17325 | 4337 | -3793 | 0.245 | 0 | 0 | 0
11/10/2024 | 17 | 76854 | 11963 | -10480 | 21468 | 5120 | -4486 | 0.282 | 611 | 8 | 0.013
11/10/2024 | 18 | 78986 | 13273 | -11604 | 22358 | 5681 | -4966 | 0.286 | 867 | 64 | 0.074
11/10/2024 | 19 | 77250 | 13346 | -11357 | 22092 | 5712 | -4861 | 0.29 | 980 | 77 | 0.079
11/10/2024 | 20 | 75295 | 13226 | -10949 | 21948 | 5661 | -4686 | 0.296 | 950 | 20 | 0.021
11/10/2024 | 21 | 72725 | 13137 | -10666 | 21701 | 5623 | -4565 | 0.303 | 958 | 51 | 0.053
11/10/2024 | 22 | 69824 | 12819 | -10117 | 21467 | 5486 | -4330 | 0.312 | 1027 | 56 | 0.055
11/10/2024 | 23 | 66410 | 12944 | -10031 | 20847 | 5540 | -4293 | 0.319 | 784 | 0 | 0
11/10/2024 | 24 | 62744 | 13067 | -9698 | 20099 | 5593 | -4150 | 0.326 | 738 | 0 | 0
11/11/2024 | 1 | 61421 | 12781 | -9932 | 19100 | 5470 | -4251 | 0.316 | 537 | 1 | 0.002
11/11/2024 | 2 | 59967 | 12608 | -9803 | 18473 | 5396 | -4196 | 0.313 | 500 | 1 | 0.002
11/11/2024 | 3 | 59392 | 12510 | -9780 | 18682 | 5354 | -4186 | 0.32 | 360 | 0 | 0
11/11/2024 | 4 | 59950 | 12647 | -10026 | 18867 | 5413 | -4292 | 0.319 | 79 | 0 | 0
11/11/2024 | 5 | 62621 | 12960 | -10565 | 19255 | 5547 | -4522 | 0.312 | 114 | 0 | 0
11/11/2024 | 6 | 66763 | 13472 | -10974 | 19866 | 5766 | -4697 | 0.302 | 598 | 0 | 0
11/11/2024 | 7 | 70674 | 13283 | -10515 | 19998 | 5685 | -4501 | 0.288 | 704 | 11 | 0.016
11/11/2024 | 8 | 71398 | 12338 | -9732 | 17018 | 5281 | -4165 | 0.245 | 187 | 6 | 0.032
11/11/2024 | 9 | 72280 | 11454 | -9341 | 14532 | 4902 | -3998 | 0.207 | 0 | 0 | 0
11/11/2024 | 10 | 72973 | 11650 | -9543 | 14614 | 4986 | -4084 | 0.207 | 91 | 0 | 0
11/11/2024 | 11 | 72626 | 12274 | -10336 | 14467 | 5253 | -4424 | 0.205 | 10 | 0 | 0
11/11/2024 | 12 | 72583 | 12689 | -10634 | 14617 | 5431 | -4551 | 0.208 | 147 | 0 | 0
11/11/2024 | 13 | 73013 | 12820 | -10769 | 14436 | 5487 | -4609 | 0.204 | 108 | 0 | 0
11/11/2024 | 14 | 72918 | 12815 | -10834 | 14437 | 5485 | -4637 | 0.204 | 21 | 0 | 0
11/11/2024 | 15 | 73540 | 12925 | -10805 | 14586 | 5532 | -4624 | 0.205 | 0 | 0 | 0
11/11/2024 | 16 | 76677 | 13590 | -11360 | 17091 | 5816 | -4862 | 0.229 | 0 | 0 | 0
11/11/2024 | 17 | 80997 | 14099 | -11796 | 19311 | 6034 | -5049 | 0.244 | 0 | 0 | 0
11/11/2024 | 18 | 83810 | 14722 | -11930 | 20829 | 6301 | -5106 | 0.254 | 126 | 0 | 0
11/11/2024 | 19 | 82669 | 14340 | -11790 | 20594 | 6138 | -5046 | 0.254 | 191 | 0 | 0
11/11/2024 | 20 | 80311 | 14896 | -12023 | 20189 | 6376 | -5146 | 0.257 | 983 | 21 | 0.021
11/11/2024 | 21 | 77823 | 15130 | -12082 | 19817 | 6476 | -5171 | 0.261 | 1118 | 123 | 0.11
11/11/2024 | 22 | 73942 | 14548 | -11512 | 19167 | 6226 | -4927 | 0.266 | 879 | 128 | 0.146
11/11/2024 | 23 | 69581 | 13732 | -10701 | 18736 | 5878 | -4580 | 0.276 | 527 | 11 | 0.021
11/11/2024 | 24 | 65604 | 13834 | -10625 | 17588 | 5921 | -4548 | 0.276 | 581 | 49 | 0.084
11/12/2024 | 1 | 64031 | 13310 | -10761 | 16871 | 5697 | -4606 | 0.27 | 403 | 0 | 0
11/12/2024 | 2 | 62471 | 13364 | -10861 | 16645 | 5720 | -4648 | 0.273 | 581 | 51 | 0.088
11/12/2024 | 3 | 61352 | 13559 | -10837 | 16373 | 5803 | -4638 | 0.274 | 555 | 35 | 0.063
11/12/2024 | 4 | 62076 | 13364 | -10746 | 16516 | 5720 | -4600 | 0.273 | 525 | 46 | 0.088
11/12/2024 | 5 | 64724 | 13182 | -10696 | 17184 | 5642 | -4578 | 0.272 | 425 | 23 | 0.054
11/12/2024 | 6 | 70253 | 13205 | -10955 | 18376 | 5652 | -4689 | 0.267 | 424 | 12 | 0.028
11/12/2024 | 7 | 76303 | 13126 | -11570 | 19047 | 5618 | -4952 | 0.253 | 42 | 1 | 0.024
11/12/2024 | 8 | 77712 | 12456 | -11101 | 16397 | 5331 | -4751 | 0.215 | 313 | 22 | 0.07
11/12/2024 | 9 | 76083 | 11563 | -10489 | 14079 | 4949 | -4489 | 0.188 | 0 | 0 | 0
11/12/2024 | 10 | 73811 | 11686 | -10604 | 13534 | 5002 | -4538 | 0.187 | 0 | 0 | 0
11/12/2024 | 11 | 70964 | 11613 | -10447 | 13413 | 4970 | -4472 | 0.193 | 0 | 0 | 0
11/12/2024 | 12 | 69563 | 11745 | -10420 | 13164 | 5027 | -4460 | 0.194 | 0 | 0 | 0
11/12/2024 | 13 | 69340 | 11873 | -10441 | 12611 | 5081 | -4469 | 0.187 | 0 | 0 | 0
11/12/2024 | 14 | 69944 | 11984 | -10548 | 12568 | 5130 | -4514 | 0.185 | 0 | 0 | 0
11/12/2024 | 15 | 71384 | 11714 | -10302 | 13501 | 5014 | -4409 | 0.194 | 0 | 0 | 0
11/12/2024 | 16 | 76812 | 11916 | -10739 | 16450 | 5100 | -4596 | 0.217 | 287 | 0 | 0
11/12/2024 | 17 | 81789 | 12182 | -10776 | 20140 | 5214 | -4612 | 0.249 | 766 | 2 | 0.003
11/12/2024 | 18 | 84646 | 13799 | -11983 | 21212 | 5906 | -5129 | 0.254 | 682 | 22 | 0.032
11/12/2024 | 19 | 83370 | 14030 | -11843 | 20918 | 6005 | -5069 | 0.255 | 781 | 58 | 0.074
11/12/2024 | 20 | 81571 | 13834 | -11643 | 20893 | 5921 | -4983 | 0.261 | 822 | 67 | 0.082
11/12/2024 | 21 | 78989 | 14494 | -12091 | 20596 | 6203 | -5175 | 0.266 | 802 | 132 | 0.165
11/12/2024 | 22 | 75364 | 14570 | -11968 | 20266 | 6236 | -5122 | 0.274 | 1305 | 328 | 0.251
11/12/2024 | 23 | 71133 | 13857 | -11326 | 19996 | 5931 | -4848 | 0.286 | 700 | 99 | 0.141
11/12/2024 | 24 | 67221 | 13835 | -11141 | 19138 | 5921 | -4768 | 0.29 | 495 | 43 | 0.087
11/13/2024 | 1 | 65238 | 13673 | -11088 | 18133 | 5852 | -4746 | 0.284 | 683 | 60 | 0.088
11/13/2024 | 2 | 63448 | 13506 | -10977 | 17509 | 5780 | -4698 | 0.282 | 694 | 74 | 0.107
11/13/2024 | 3 | 62619 | 13677 | -11087 | 17264 | 5854 | -4745 | 0.282 | 600 | 50 | 0.083
11/13/2024 | 4 | 63309 | 13572 | -11177 | 17627 | 5809 | -4784 | 0.284 | 457 | 8 | 0.018
11/13/2024 | 5 | 65860 | 13052 | -10868 | 18329 | 5586 | -4652 | 0.283 | 647 | 0 | 0
11/13/2024 | 6 | 71778 | 12339 | -10935 | 20008 | 5281 | -4680 | 0.282 | 683 | 4 | 0.006
11/13/2024 | 7 | 77310 | 12702 | -11341 | 20905 | 5436 | -4854 | 0.273 | 1057 | 79 | 0.075
11/13/2024 | 8 | 78457 | 11960 | -10880 | 18190 | 5119 | -4656 | 0.235 | 537 | 49 | 0.091
11/13/2024 | 9 | 75427 | 11405 | -10277 | 15032 | 4882 | -4399 | 0.203 | 0 | 0 | 0
11/13/2024 | 10 | 73131 | 11381 | -10123 | 14280 | 4871 | -4333 | 0.199 | 0 | 0 | 0
11/13/2024 | 11 | 72078 | 10994 | -10033 | 14313 | 4705 | -4294 | 0.202 | 0 | 0 | 0
11/13/2024 | 12 | 71684 | 11543 | -10374 | 14164 | 4941 | -4440 | 0.201 | 0 | 0 | 0
11/13/2024 | 13 | 72585 | 11019 | -10151 | 13948 | 4716 | -4345 | 0.195 | 0 | 0 | 0
11/13/2024 | 14 | 73558 | 11151 | -10330 | 13963 | 4772 | -4421 | 0.192 | 0 | 0 | 0
11/13/2024 | 15 | 75318 | 12245 | -11157 | 14906 | 5241 | -4775 | 0.201 | 0 | 0 | 0
11/13/2024 | 16 | 78636 | 12181 | -11152 | 17672 | 5214 | -4773 | 0.227 | 18 | 0 | 0
11/13/2024 | 17 | 83291 | 13539 | -12265 | 20899 | 5794 | -5249 | 0.254 | 737 | 15 | 0.02
11/13/2024 | 18 | 85583 | 14909 | -13145 | 21338 | 6381 | -5626 | 0.253 | 1030 | 133 | 0.129
11/13/2024 | 19 | 84398 | 15184 | -13448 | 21191 | 6499 | -5756 | 0.255 | 1364 | 207 | 0.152
11/13/2024 | 20 | 82390 | 14804 | -12764 | 21275 | 6336 | -5463 | 0.262 | 1490 | 221 | 0.148
11/13/2024 | 21 | 79371 | 14960 | -12649 | 20952 | 6403 | -5414 | 0.269 | 1458 | 337 | 0.231
11/13/2024 | 22 | 75940 | 14015 | -11934 | 20753 | 5998 | -5108 | 0.277 | 1560 | 426 | 0.273
11/13/2024 | 23 | 71326 | 13527 | -11427 | 19749 | 5789 | -4891 | 0.281 | 1452 | 289 | 0.199
11/13/2024 | 24 | 67410 | 13277 | -10725 | 19070 | 5683 | -4590 | 0.288 | 840 | 116 | 0.138
11/14/2024 | 1 | 65507 | 13226 | -10525 | 18458 | 5661 | -4505 | 0.288 | 433 | 33 | 0.076
11/14/2024 | 2 | 63545 | 13127 | -10889 | 17790 | 5618 | -4661 | 0.285 | 676 | 119 | 0.176
11/14/2024 | 3 | 63090 | 13236 | -11246 | 17268 | 5665 | -4813 | 0.278 | 612 | 108 | 0.176
11/14/2024 | 4 | 64132 | 13087 | -11400 | 17645 | 5601 | -4879 | 0.279 | 291 | 54 | 0.186
11/14/2024 | 5 | 66770 | 13381 | -11956 | 18044 | 5727 | -5117 | 0.274 | 444 | 38 | 0.086
11/14/2024 | 6 | 71886 | 13100 | -11926 | 19724 | 5607 | -5105 | 0.277 | 153 | 1 | 0.007
11/14/2024 | 7 | 78005 | 13661 | -12952 | 20862 | 5847 | -5544 | 0.269 | 532 | 109 | 0.205
11/14/2024 | 8 | 78513 | 13156 | -12486 | 17394 | 5631 | -5344 | 0.223 | 304 | 45 | 0.148
11/14/2024 | 9 | 75653 | 12432 | -11789 | 14497 | 5321 | -5045 | 0.194 | 0 | 0 | 0
11/14/2024 | 10 | 72736 | 12202 | -11002 | 13349 | 5223 | -4709 | 0.188 | 0 | 0 | 0
11/14/2024 | 11 | 70551 | 12195 | -10855 | 12594 | 5219 | -4646 | 0.183 | 0 | 0 | 0
11/14/2024 | 12 | 69884 | 12062 | -10728 | 12613 | 5162 | -4592 | 0.185 | 0 | 0 | 0
11/14/2024 | 13 | 70553 | 11704 | -10795 | 13134 | 5009 | -4620 | 0.189 | 0 | 0 | 0
11/14/2024 | 14 | 71137 | 11912 | -10881 | 13429 | 5098 | -4657 | 0.192 | 0 | 0 | 0
11/14/2024 | 15 | 73548 | 12062 | -11270 | 14673 | 5162 | -4824 | 0.202 | 0 | 0 | 0
11/14/2024 | 16 | 77863 | 12157 | -11240 | 17782 | 5203 | -4811 | 0.231 | 168 | 0 | 0
11/14/2024 | 17 | 83195 | 12980 | -12082 | 21197 | 5556 | -5171 | 0.257 | 640 | 35 | 0.055
11/14/2024 | 18 | 85516 | 14052 | -12739 | 22325 | 6014 | -5453 | 0.264 | 813 | 93 | 0.114
11/14/2024 | 19 | 83863 | 14030 | -12627 | 22005 | 6005 | -5404 | 0.265 | 693 | 22 | 0.032
11/14/2024 | 20 | 82560 | 13747 | -12392 | 22615 | 5884 | -5304 | 0.276 | 1167 | 171 | 0.147
11/14/2024 | 21 | 80329 | 14295 | -12494 | 22868 | 6118 | -5347 | 0.288 | 1544 | 279 | 0.181
11/14/2024 | 22 | 76125 | 13945 | -11509 | 21940 | 5968 | -4926 | 0.293 | 820 | 195 | 0.238
11/14/2024 | 23 | 71832 | 13314 | -10817 | 20738 | 5698 | -4630 | 0.293 | 392 | 17 | 0.043
11/14/2024 | 24 | 68370 | 13044 | -10599 | 20166 | 5583 | -4536 | 0.3 | 641 | 63 | 0.098
11/15/2024 | 1 | 66801 | 12485 | -10528 | 19998 | 5343 | -4506 | 0.303 | 900 | 135 | 0.15
11/15/2024 | 2 | 65279 | 12559 | -10667 | 19160 | 5376 | -4566 | 0.297 | 518 | 34 | 0.066
11/15/2024 | 3 | 64382 | 12542 | -10806 | 18593 | 5368 | -4625 | 0.292 | 411 | 2 | 0.005
11/15/2024 | 4 | 64982 | 12339 | -10776 | 18745 | 5281 | -4612 | 0.292 | 502 | 6 | 0.012
11/15/2024 | 5 | 67538 | 12014 | -10887 | 19279 | 5142 | -4659 | 0.288 | 460 | 1 | 0.002
11/15/2024 | 6 | 72347 | 12197 | -10845 | 19707 | 5220 | -4642 | 0.275 | 426 | 9 | 0.021
11/15/2024 | 7 | 77840 | 12712 | -11369 | 20291 | 5441 | -4866 | 0.264 | 858 | 65 | 0.076
11/15/2024 | 8 | 80469 | 12598 | -11801 | 17811 | 5392 | -5051 | 0.223 | 1074 | 222 | 0.207
11/15/2024 | 9 | 78707 | 12691 | -12089 | 15382 | 5432 | -5174 | 0.197 | 41 | 0 | 0
11/15/2024 | 10 | 76625 | 12325 | -12408 | 14910 | 5275 | -5310 | 0.194 | 0 | 0 | 0
11/15/2024 | 11 | 74398 | 12182 | -12511 | 14568 | 5214 | -5355 | 0.195 | 0 | 0 | 0
11/15/2024 | 12 | 72881 | 12399 | -12816 | 14115 | 5307 | -5486 | 0.192 | 0 | 0 | 0
11/15/2024 | 13 | 72764 | 12561 | -13171 | 13898 | 5376 | -5637 | 0.189 | 0 | 0 | 0
11/15/2024 | 14 | 73039 | 12496 | -13164 | 13902 | 5348 | -5634 | 0.188 | 0 | 0 | 0
11/15/2024 | 15 | 74528 | 12304 | -12899 | 14071 | 5266 | -5521 | 0.187 | 0 | 0 | 0
11/15/2024 | 16 | 77815 | 12415 | -12514 | 16296 | 5313 | -5356 | 0.209 | 55 | 2 | 0.036
11/15/2024 | 17 | 83267 | 13691 | -13494 | 18914 | 5860 | -5776 | 0.228 | 619 | 28 | 0.045
11/15/2024 | 18 | 86304 | 14554 | -13903 | 19775 | 6229 | -5951 | 0.231 | 542 | 0 | 0
11/15/2024 | 19 | 84675 | 14355 | -13738 | 19417 | 6144 | -5880 | 0.231 | 500 | 6 | 0.012
11/15/2024 | 20 | 82897 | 13946 | -13036 | 19334 | 5969 | -5579 | 0.235 | 528 | 25 | 0.047
11/15/2024 | 21 | 80902 | 13836 | -12793 | 19133 | 5922 | -5476 | 0.239 | 539 | 25 | 0.046
11/15/2024 | 22 | 77964 | 13509 | -12368 | 18670 | 5782 | -5293 | 0.242 | 580 | 87 | 0.15
11/15/2024 | 23 | 75629 | 12707 | -11803 | 18672 | 5439 | -5052 | 0.249 | 472 | 10 | 0.021
11/15/2024 | 24 | 72282 | 12428 | -11410 | 18229 | 5319 | -4884 | 0.255 | 665 | 68 | 0.102
11/16/2024 | 1 | 69842 | 12242 | -11397 | 17661 | 5239 | -4878 | 0.255 | 594 | 37 | 0.062
11/16/2024 | 2 | 68117 | 12555 | -11554 | 17866 | 5374 | -4945 | 0.265 | 617 | 65 | 0.105
11/16/2024 | 3 | 66980 | 12515 | -11500 | 17932 | 5356 | -4922 | 0.27 | 461 | 15 | 0.033
11/16/2024 | 4 | 66875 | 12348 | -11344 | 17744 | 5285 | -4855 | 0.268 | 511 | 23 | 0.045
11/16/2024 | 5 | 68071 | 11729 | -10934 | 17902 | 5020 | -4680 | 0.265 | 362 | 16 | 0.044
11/16/2024 | 6 | 70459 | 11677 | -10947 | 18498 | 4998 | -4685 | 0.264 | 360 | 18 | 0.05
11/16/2024 | 7 | 72867 | 12616 | -11595 | 18722 | 5399 | -4963 | 0.259 | 586 | 52 | 0.089
11/16/2024 | 8 | 74258 | 12981 | -12102 | 16311 | 5556 | -5180 | 0.222 | 295 | 16 | 0.054
11/16/2024 | 9 | 73001 | 12614 | -12133 | 14056 | 5399 | -5193 | 0.194 | 0 | 0 | 0
11/16/2024 | 10 | 71667 | 12580 | -12073 | 13829 | 5384 | -5167 | 0.195 | 0 | 0 | 0
11/16/2024 | 11 | 70041 | 12660 | -12026 | 13432 | 5418 | -5148 | 0.194 | 0 | 0 | 0
11/16/2024 | 12 | 68670 | 13021 | -12330 | 13054 | 5573 | -5277 | 0.192 | 0 | 0 | 0
11/16/2024 | 13 | 67927 | 13329 | -12370 | 12662 | 5705 | -5294 | 0.19 | 0 | 0 | 0
11/16/2024 | 14 | 68275 | 13293 | -12343 | 12587 | 5689 | -5283 | 0.188 | 0 | 0 | 0
11/16/2024 | 15 | 70572 | 12954 | -12006 | 13226 | 5544 | -5138 | 0.191 | 0 | 0 | 0
11/16/2024 | 16 | 74438 | 13184 | -11409 | 15565 | 5643 | -4883 | 0.214 | 0 | 0 | 0
11/16/2024 | 17 | 80035 | 14212 | -11996 | 19072 | 6082 | -5134 | 0.243 | 558 | 0 | 0
11/16/2024 | 18 | 82547 | 14610 | -11981 | 19556 | 6253 | -5128 | 0.243 | 807 | 86 | 0.107
11/16/2024 | 19 | 81219 | 14778 | -12108 | 19847 | 6325 | -5182 | 0.25 | 1357 | 233 | 0.172
11/16/2024 | 20 | 79045 | 14593 | -11663 | 20541 | 6245 | -4991 | 0.266 | 1632 | 224 | 0.137
11/16/2024 | 21 | 77134 | 14827 | -11749 | 20620 | 6346 | -5029 | 0.273 | 1885 | 323 | 0.171
11/16/2024 | 22 | 74965 | 14654 | -11549 | 20253 | 6272 | -4943 | 0.276 | 2193 | 693 | 0.316
11/16/2024 | 23 | 72192 | 13779 | -11079 | 19923 | 5897 | -4742 | 0.281 | 2799 | 1365 | 0.488
11/16/2024 | 24 | 69189 | 13588 | -11055 | 18745 | 5816 | -4732 | 0.276 | 2184 | 892 | 0.408
11/17/2024 | 1 | 67084 | 13762 | -11217 | 18236 | 5890 | -4801 | 0.278 | 1493 | 504 | 0.338
11/17/2024 | 2 | 65344 | 14108 | -11630 | 17802 | 6038 | -4978 | 0.278 | 1117 | 314 | 0.281
11/17/2024 | 3 | 63939 | 14158 | -11652 | 17204 | 6060 | -4987 | 0.275 | 957 | 218 | 0.228
11/17/2024 | 4 | 63693 | 13837 | -11364 | 17285 | 5923 | -4864 | 0.277 | 1023 | 236 | 0.231
11/17/2024 | 5 | 64988 | 13730 | -11632 | 17764 | 5876 | -4979 | 0.278 | 1204 | 286 | 0.238
11/17/2024 | 6 | 67424 | 13664 | -12010 | 18190 | 5849 | -5140 | 0.274 | 740 | 90 | 0.122
11/17/2024 | 7 | 69459 | 13635 | -11849 | 18570 | 5836 | -5072 | 0.271 | 676 | 73 | 0.108
11/17/2024 | 8 | 70303 | 12962 | -11771 | 15393 | 5548 | -5038 | 0.222 | 519 | 31 | 0.06
11/17/2024 | 9 | 70310 | 12659 | -12002 | 13261 | 5418 | -5136 | 0.191 | 66 | 0 | 0
11/17/2024 | 10 | 68873 | 12712 | -12100 | 12330 | 5441 | -5179 | 0.181 | 0 | 0 | 0
11/17/2024 | 11 | 67583 | 12760 | -11855 | 12085 | 5461 | -5074 | 0.182 | 0 | 0 | 0
11/17/2024 | 12 | 66643 | 12810 | -11854 | 11998 | 5483 | -5074 | 0.184 | 0 | 0 | 0
11/17/2024 | 13 | 67014 | 12986 | -12036 | 11984 | 5558 | -5152 | 0.182 | 0 | 0 | 0
11/17/2024 | 14 | 68291 | 13224 | -12179 | 12197 | 5660 | -5213 | 0.182 | 0 | 0 | 0
11/17/2024 | 15 | 70788 | 13574 | -12706 | 12780 | 5810 | -5438 | 0.184 | 0 | 0 | 0
11/17/2024 | 16 | 75053 | 13379 | -12591 | 15614 | 5726 | -5389 | 0.21 | 55 | 2 | 0.036
11/17/2024 | 17 | 80370 | 13242 | -12084 | 18837 | 5668 | -5172 | 0.237 | 693 | 57 | 0.082
11/17/2024 | 18 | 83717 | 14376 | -12850 | 19963 | 6153 | -5500 | 0.242 | 870 | 139 | 0.16
11/17/2024 | 19 | 82936 | 14360 | -12861 | 19582 | 6146 | -5504 | 0.24 | 822 | 98 | 0.119
11/17/2024 | 20 | 81672 | 14274 | -12759 | 19930 | 6109 | -5461 | 0.247 | 971 | 91 | 0.094
11/17/2024 | 21 | 79402 | 14145 | -12441 | 19884 | 6054 | -5325 | 0.254 | 1046 | 146 | 0.14
11/17/2024 | 22 | 76063 | 13754 | -12002 | 19434 | 5887 | -5137 | 0.259 | 637 | 113 | 0.177
11/17/2024 | 23 | 71946 | 13601 | -11794 | 18760 | 5821 | -5048 | 0.265 | 718 | 108 | 0.15
11/17/2024 | 24 | 68754 | 13187 | -11722 | 18142 | 5644 | -5017 | 0.267 | 452 | 38 | 0.084
11/18/2024 | 1 | 67239 | 12468 | -11383 | 17493 | 5337 | -4872 | 0.263 | 775 | 158 | 0.204
11/18/2024 | 2 | 66013 | 12043 | -10902 | 16860 | 5155 | -4666 | 0.258 | 792 | 134 | 0.169
11/18/2024 | 3 | 65347 | 12168 | -10911 | 16575 | 5208 | -4670 | 0.257 | 1063 | 265 | 0.249
11/18/2024 | 4 | 66044 | 12454 | -11169 | 16855 | 5330 | -4781 | 0.258 | 752 | 130 | 0.173
11/18/2024 | 5 | 68932 | 12564 | -11340 | 17657 | 5377 | -4854 | 0.259 | 632 | 51 | 0.081
11/18/2024 | 6 | 75414 | 12431 | -11672 | 18973 | 5321 | -4996 | 0.253 | 821 | 18 | 0.022
11/18/2024 | 7 | 82383 | 12430 | -12256 | 20160 | 5320 | -5245 | 0.245 | 1066 | 138 | 0.129
11/18/2024 | 8 | 84416 | 12676 | -12698 | 17534 | 5426 | -5435 | 0.208 | 599 | 48 | 0.08
11/18/2024 | 9 | 82219 | 13354 | -13434 | 14386 | 5716 | -5750 | 0.175 | 0 | 0 | 0
11/18/2024 | 10 | 79482 | 13453 | -13576 | 13750 | 5758 | -5810 | 0.173 | 0 | 0 | 0
11/18/2024 | 11 | 77544 | 13351 | -13695 | 13268 | 5714 | -5862 | 0.17 | 0 | 0 | 0
11/18/2024 | 12 | 76154 | 13276 | -13496 | 13231 | 5682 | -5776 | 0.173 | 0 | 0 | 0
11/18/2024 | 13 | 75162 | 13380 | -13659 | 13011 | 5727 | -5846 | 0.172 | 0 | 0 | 0
11/18/2024 | 14 | 75618 | 13338 | -13423 | 12969 | 5708 | -5745 | 0.171 | 0 | 0 | 0
11/18/2024 | 15 | 77495 | 12825 | -13023 | 13358 | 5489 | -5574 | 0.172 | 0 | 0 | 0
11/18/2024 | 16 | 81392 | 12985 | -13065 | 15477 | 5558 | -5592 | 0.19 | 45 | 0 | 0
11/18/2024 | 17 | 87631 | 13842 | -13616 | 19197 | 5924 | -5828 | 0.22 | 241 | 0 | 0
11/18/2024 | 18 | 91321 | 14158 | -13594 | 20887 | 6060 | -5819 | 0.23 | 695 | 98 | 0.141
11/18/2024 | 19 | 90076 | 14413 | -13574 | 21168 | 6169 | -5810 | 0.237 | 692 | 85 | 0.123
11/18/2024 | 20 | 88529 | 14515 | -13656 | 21504 | 6213 | -5845 | 0.245 | 1204 | 233 | 0.194
11/18/2024 | 21 | 86210 | 14362 | -13380 | 21756 | 6147 | -5726 | 0.254 | 1931 | 429 | 0.222
11/18/2024 | 22 | 82296 | 14126 | -12972 | 21532 | 6046 | -5552 | 0.264 | 1879 | 440 | 0.234
11/18/2024 | 23 | 77496 | 12830 | -11899 | 20841 | 5491 | -5093 | 0.271 | 979 | 118 | 0.121
11/18/2024 | 24 | 73708 | 12613 | -11655 | 20870 | 5398 | -4988 | 0.285 | 863 | 40 | 0.046
11/19/2024 | 1 | 71625 | 12299 | -11312 | 20549 | 5264 | -4841 | 0.289 | 753 | 17 | 0.023
11/19/2024 | 2 | 70247 | 12284 | -11314 | 20418 | 5258 | -4843 | 0.293 | 496 | 31 | 0.062
11/19/2024 | 3 | 69417 | 12302 | -11107 | 20420 | 5265 | -4754 | 0.296 | 356 | 34 | 0.096
11/19/2024 | 4 | 70275 | 12127 | -10987 | 20959 | 5190 | -4702 | 0.3 | 435 | 10 | 0.023
11/19/2024 | 5 | 73107 | 12378 | -11328 | 21559 | 5298 | -4848 | 0.297 | 187 | 0 | 0
11/19/2024 | 6 | 78783 | 12592 | -11962 | 22916 | 5389 | -5120 | 0.292 | 455 | 4 | 0.009
11/19/2024 | 7 | 85170 | 12351 | -11813 | 23304 | 5286 | -5056 | 0.275 | 1110 | 69 | 0.062
11/19/2024 | 8 | 86144 | 12427 | -11824 | 20866 | 5319 | -5061 | 0.244 | 1278 | 136 | 0.106
11/19/2024 | 9 | 82434 | 12271 | -11514 | 17728 | 5252 | -4928 | 0.217 | 704 | 28 | 0.04
11/19/2024 | 10 | 79750 | 12011 | -11583 | 16384 | 5141 | -4958 | 0.207 | 13 | 0 | 0
11/19/2024 | 11 | 77715 | 12354 | -11920 | 16348 | 5288 | -5102 | 0.212 | 0 | 0 | 0
11/19/2024 | 12 | 75880 | 12471 | -12047 | 16227 | 5338 | -5156 | 0.215 | 0 | 0 | 0
11/19/2024 | 13 | 75879 | 12997 | -12605 | 16001 | 5563 | -5395 | 0.212 | 0 | 0 | 0
11/19/2024 | 14 | 77033 | 13313 | -12941 | 16236 | 5698 | -5538 | 0.212 | 0 | 0 | 0
11/19/2024 | 15 | 79369 | 13277 | -12825 | 16996 | 5683 | -5489 | 0.215 | 248 | 0 | 0
11/19/2024 | 16 | 83012 | 13129 | -12514 | 20241 | 5619 | -5356 | 0.245 | 88 | 0 | 0
11/19/2024 | 17 | 88160 | 13863 | -13096 | 23175 | 5934 | -5605 | 0.264 | 108 | 0 | 0
11/19/2024 | 18 | 90746 | 15284 | -13991 | 24300 | 6541 | -5988 | 0.27 | 768 | 78 | 0.102
11/19/2024 | 19 | 88804 | 15435 | -13998 | 23773 | 6606 | -5991 | 0.27 | 901 | 146 | 0.162
11/19/2024 | 20 | 86468 | 15290 | -13498 | 23850 | 6544 | -5777 | 0.279 | 559 | 34 | 0.061
11/19/2024 | 21 | 83987 | 14583 | -12953 | 23663 | 6242 | -5544 | 0.285 | 964 | 200 | 0.207
11/19/2024 | 22 | 79775 | 14249 | -12320 | 22878 | 6098 | -5273 | 0.29 | 1704 | 540 | 0.317
11/19/2024 | 23 | 75151 | 13934 | -12186 | 22086 | 5964 | -5216 | 0.297 | 1296 | 346 | 0.267
11/19/2024 | 24 | 70900 | 13524 | -11795 | 21390 | 5788 | -5048 | 0.305 | 1398 | 399 | 0.285
11/20/2024 | 1 | 68758 | 12879 | -11070 | 21198 | 5512 | -4738 | 0.311 | 1097 | 270 | 0.246
11/20/2024 | 2 | 67177 | 12275 | -10779 | 20908 | 5254 | -4613 | 0.314 | 728 | 148 | 0.203
11/20/2024 | 3 | 66564 | 11847 | -10469 | 20811 | 5070 | -4481 | 0.315 | 945 | 220 | 0.233
11/20/2024 | 4 | 67464 | 11700 | -10378 | 20874 | 5008 | -4442 | 0.312 | 1305 | 365 | 0.28
11/20/2024 | 5 | 70100 | 11873 | -10647 | 21296 | 5082 | -4557 | 0.306 | 1227 | 282 | 0.23
11/20/2024 | 6 | 75668 | 11914 | -11077 | 21927 | 5099 | -4741 | 0.291 | 686 | 103 | 0.15
11/20/2024 | 7 | 80946 | 12762 | -11867 | 21888 | 5462 | -5079 | 0.272 | 1298 | 336 | 0.259
11/20/2024 | 8 | 82730 | 11883 | -11389 | 19150 | 5086 | -4875 | 0.233 | 933 | 208 | 0.223
11/20/2024 | 9 | 81162 | 12294 | -11942 | 16276 | 5262 | -5111 | 0.202 | 361 | 7 | 0.019
11/20/2024 | 10 | 79064 | 12364 | -11810 | 15367 | 5292 | -5055 | 0.196 | 0 | 0 | 0
11/20/2024 | 11 | 76881 | 12722 | -12462 | 14581 | 5445 | -5334 | 0.19 | 0 | 0 | 0
11/20/2024 | 12 | 75869 | 12720 | -12765 | 14805 | 5444 | -5463 | 0.195 | 0 | 0 | 0
11/20/2024 | 13 | 75621 | 12863 | -12756 | 14565 | 5505 | -5460 | 0.193 | 0 | 0 | 0
11/20/2024 | 14 | 76930 | 12758 | -12721 | 14469 | 5460 | -5445 | 0.188 | 0 | 0 | 0
11/20/2024 | 15 | 78230 | 12653 | -12469 | 15483 | 5415 | -5337 | 0.198 | 0 | 0 | 0
11/20/2024 | 16 | 81391 | 12526 | -11950 | 18732 | 5361 | -5115 | 0.232 | 24 | 0 | 0
11/20/2024 | 17 | 85865 | 12854 | -12253 | 21845 | 5502 | -5244 | 0.256 | 361 | 0 | 0
11/20/2024 | 18 | 88589 | 13821 | -13080 | 22591 | 5915 | -5598 | 0.256 | 597 | 71 | 0.119
11/20/2024 | 19 | 87450 | 13479 | -12856 | 22470 | 5769 | -5502 | 0.258 | 662 | 85 | 0.128
11/20/2024 | 20 | 86008 | 13340 | -12653 | 22737 | 5710 | -5416 | 0.266 | 1011 | 209 | 0.207
11/20/2024 | 21 | 83532 | 13441 | -12750 | 22250 | 5752 | -5457 | 0.268 | 577 | 95 | 0.165
11/20/2024 | 22 | 79581 | 13026 | -11900 | 22043 | 5575 | -5094 | 0.279 | 1090 | 176 | 0.161
11/20/2024 | 23 | 75526 | 12537 | -11686 | 21876 | 5366 | -5002 | 0.291 | 1180 | 270 | 0.229
11/20/2024 | 24 | 71664 | 12282 | -11479 | 21666 | 5257 | -4913 | 0.304 | 484 | 98 | 0.202
11/21/2024 | 1 | 69222 | 11775 | -10754 | 21764 | 5040 | -4603 | 0.316 | 566 | 77 | 0.136
11/21/2024 | 2 | 67576 | 11820 | -10796 | 21708 | 5059 | -4621 | 0.323 | 741 | 155 | 0.209
11/21/2024 | 3 | 66758 | 11717 | -10708 | 21468 | 5015 | -4583 | 0.323 | 453 | 51 | 0.113
11/21/2024 | 4 | 67093 | 11735 | -10656 | 21572 | 5022 | -4561 | 0.323 | 413 | 47 | 0.114
11/21/2024 | 5 | 69691 | 11541 | -10651 | 22047 | 4940 | -4559 | 0.318 | 519 | 87 | 0.168
11/21/2024 | 6 | 75802 | 11356 | -11187 | 22812 | 4861 | -4788 | 0.301 | 581 | 60 | 0.103
11/21/2024 | 7 | 81864 | 11613 | -11488 | 22925 | 4970 | -4917 | 0.28 | 608 | 35 | 0.058
11/21/2024 | 8 | 83306 | 11228 | -11130 | 20903 | 4806 | -4764 | 0.251 | 931 | 144 | 0.155
11/21/2024 | 9 | 81032 | 10790 | -10534 | 16933 | 4618 | -4509 | 0.21 | 68 | 4 | 0.059
11/21/2024 | 10 | 78979 | 11039 | -11006 | 16054 | 4725 | -4711 | 0.203 | 0 | 0 | 0
11/21/2024 | 11 | 77336 | 11100 | -11370 | 15995 | 4751 | -4866 | 0.206 | 138 | 0 | 0
11/21/2024 | 12 | 76340 | 11211 | -11438 | 16228 | 4798 | -4895 | 0.212 | 67 | 3 | 0.045
11/21/2024 | 13 | 75482 | 11505 | -11576 | 15893 | 4924 | -4954 | 0.21 | 185 | 0 | 0
11/21/2024 | 14 | 76032 | 11206 | -11467 | 16163 | 4796 | -4908 | 0.212 | 16 | 1 | 0.062
11/21/2024 | 15 | 77519 | 11001 | -11051 | 16637 | 4709 | -4730 | 0.214 | 0 | 0 | 0
11/21/2024 | 16 | 80445 | 11564 | -11207 | 19442 | 4949 | -4797 | 0.242 | 536 | 24 | 0.045
11/21/2024 | 17 | 84893 | 12230 | -11424 | 22158 | 5234 | -4889 | 0.263 | 947 | 110 | 0.116
11/21/2024 | 18 | 86878 | 12783 | -11705 | 22995 | 5472 | -5009 | 0.267 | 1075 | 172 | 0.16
11/21/2024 | 19 | 85738 | 12692 | -11718 | 22639 | 5432 | -5015 | 0.266 | 1056 | 235 | 0.223
11/21/2024 | 20 | 84084 | 12972 | -12185 | 22871 | 5552 | -5215 | 0.273 | 885 | 136 | 0.154
11/21/2024 | 21 | 82217 | 13010 | -12312 | 22938 | 5568 | -5270 | 0.28 | 1094 | 127 | 0.116
11/21/2024 | 22 | 78825 | 12452 | -11292 | 22894 | 5329 | -4833 | 0.292 | 1316 | 201 | 0.153
11/21/2024 | 23 | 74458 | 11744 | -10526 | 22628 | 5026 | -4505 | 0.306 | 1042 | 166 | 0.159
11/21/2024 | 24 | 70067 | 12523 | -10749 | 21641 | 5360 | -4601 | 0.312 | 582 | 59 | 0.101
11/22/2024 | 1 | 67836 | 13125 | -11175 | 20627 | 5617 | -4783 | 0.308 | 740 | 194 | 0.262
11/22/2024 | 2 | 66333 | 12804 | -10895 | 19634 | 5480 | -4663 | 0.3 | 856 | 262 | 0.306
11/22/2024 | 3 | 65541 | 12740 | -10969 | 19203 | 5453 | -4695 | 0.297 | 465 | 100 | 0.215
11/22/2024 | 4 | 66107 | 12651 | -11123 | 19624 | 5415 | -4760 | 0.3 | 360 | 50 | 0.139
11/22/2024 | 5 | 68238 | 12861 | -11228 | 19677 | 5504 | -4806 | 0.292 | 402 | 7 | 0.017
11/22/2024 | 6 | 73425 | 12927 | -11756 | 20180 | 5533 | -5031 | 0.277 | 344 | 5 | 0.015
11/22/2024 | 7 | 79527 | 12999 | -12486 | 20903 | 5564 | -5344 | 0.264 | 487 | 15 | 0.031
11/22/2024 | 8 | 81751 | 12758 | -12832 | 18692 | 5460 | -5492 | 0.228 | 1355 | 229 | 0.169
11/22/2024 | 9 | 79965 | 12276 | -12335 | 15710 | 5254 | -5279 | 0.196 | 0 | 0 | 0
11/22/2024 | 10 | 78502 | 12292 | -12367 | 14787 | 5261 | -5293 | 0.188 | 0 | 0 | 0
11/22/2024 | 11 | 77284 | 11677 | -11651 | 14684 | 4998 | -4987 | 0.19 | 0 | 0 | 0
11/22/2024 | 12 | 76408 | 11546 | -11468 | 15050 | 4942 | -4908 | 0.197 | 414 | 0 | 0
11/22/2024 | 13 | 76035 | 11891 | -11536 | 14648 | 5089 | -4937 | 0.194 | 409 | 0 | 0
11/22/2024 | 14 | 76423 | 11975 | -11472 | 14587 | 5125 | -4910 | 0.192 | 446 | 32 | 0.072
11/22/2024 | 15 | 77936 | 12549 | -12114 | 15480 | 5371 | -5185 | 0.2 | 555 | 83 | 0.15
11/22/2024 | 16 | 80109 | 12816 | -11994 | 18369 | 5485 | -5133 | 0.231 | 309 | 13 | 0.042
11/22/2024 | 17 | 83900 | 13083 | -12063 | 21373 | 5599 | -5163 | 0.257 | 487 | 57 | 0.117
11/22/2024 | 18 | 85314 | 14021 | -13089 | 22023 | 6001 | -5602 | 0.26 | 884 | 207 | 0.234
11/22/2024 | 19 | 83545 | 13901 | -12812 | 21326 | 5950 | -5484 | 0.257 | 715 | 166 | 0.232
11/22/2024 | 20 | 81852 | 13468 | -12344 | 21508 | 5764 | -5283 | 0.265 | 926 | 266 | 0.287
11/22/2024 | 21 | 80095 | 13032 | -11963 | 21635 | 5578 | -5120 | 0.272 | 860 | 200 | 0.233
11/22/2024 | 22 | 76940 | 13089 | -11549 | 21363 | 5602 | -4943 | 0.281 | 713 | 111 | 0.156
11/22/2024 | 23 | 73455 | 12506 | -11121 | 21183 | 5352 | -4760 | 0.291 | 550 | 41 | 0.075
11/22/2024 | 24 | 69794 | 12556 | -11168 | 20632 | 5374 | -4780 | 0.298 | 495 | 0 | 0
11/23/2024 | 1 | 67629 | 12494 | -10909 | 20149 | 5347 | -4669 | 0.301 | 370 | 1 | 0.003
11/23/2024 | 2 | 65445 | 12573 | -10883 | 19586 | 5381 | -4658 | 0.303 | 336 | 0 | 0
11/23/2024 | 3 | 64105 | 12816 | -11100 | 19100 | 5486 | -4751 | 0.301 | 215 | 0 | 0
11/23/2024 | 4 | 63967 | 12725 | -10996 | 19463 | 5446 | -4706 | 0.308 | 285 | 0 | 0
11/23/2024 | 5 | 65061 | 12751 | -11195 | 19428 | 5457 | -4792 | 0.302 | 128 | 0 | 0
11/23/2024 | 6 | 67608 | 12701 | -11324 | 19415 | 5436 | -4846 | 0.29 | 24 | 0 | 0
11/23/2024 | 7 | 70049 | 13081 | -11570 | 18815 | 5599 | -4952 | 0.272 | 451 | 1 | 0.002
11/23/2024 | 8 | 71991 | 12614 | -11560 | 16726 | 5399 | -4948 | 0.235 | 257 | 0 | 0
11/23/2024 | 9 | 72939 | 13120 | -12407 | 13871 | 5615 | -5310 | 0.192 | 0 | 0 | 0
11/23/2024 | 10 | 72850 | 13246 | -12656 | 13067 | 5669 | -5417 | 0.181 | 0 | 0 | 0
11/23/2024 | 11 | 71802 | 13079 | -12744 | 12466 | 5598 | -5455 | 0.175 | 0 | 0 | 0
11/23/2024 | 12 | 71393 | 13221 | -13107 | 12146 | 5659 | -5609 | 0.171 | 0 | 0 | 0
11/23/2024 | 13 | 71193 | 13268 | -13212 | 11973 | 5679 | -5655 | 0.168 | 0 | 0 | 0
11/23/2024 | 14 | 71974 | 13410 | -13417 | 11807 | 5739 | -5742 | 0.164 | 0 | 0 | 0
11/23/2024 | 15 | 73419 | 13714 | -13689 | 12576 | 5869 | -5859 | 0.171 | 0 | 0 | 0
11/23/2024 | 16 | 75506 | 13698 | -13086 | 14894 | 5863 | -5601 | 0.199 | 24 | 0 | 0
11/23/2024 | 17 | 79618 | 14230 | -12747 | 17387 | 6091 | -5456 | 0.222 | 221 | 0 | 0
11/23/2024 | 18 | 82239 | 14758 | -13202 | 17613 | 6317 | -5650 | 0.218 | 307 | 0 | 0
11/23/2024 | 19 | 80773 | 14973 | -13227 | 17492 | 6408 | -5661 | 0.221 | 803 | 91 | 0.113
11/23/2024 | 20 | 79013 | 14775 | -12807 | 17800 | 6323 | -5482 | 0.23 | 703 | 86 | 0.122
11/23/2024 | 21 | 77354 | 14686 | -12450 | 18174 | 6286 | -5328 | 0.24 | 769 | 142 | 0.185
11/23/2024 | 22 | 75104 | 14533 | -12434 | 17904 | 6220 | -5322 | 0.244 | 704 | 121 | 0.172
11/23/2024 | 23 | 72445 | 14368 | -12498 | 18002 | 6150 | -5349 | 0.253 | 755 | 136 | 0.18
11/23/2024 | 24 | 68603 | 14332 | -12149 | 17652 | 6134 | -5200 | 0.263 | 502 | 52 | 0.104
11/24/2024 | 1 | 66037 | 13909 | -11286 | 17276 | 5953 | -4830 | 0.268 | 617 | 127 | 0.206
11/24/2024 | 2 | 64494 | 14101 | -11402 | 17199 | 6035 | -4880 | 0.273 | 537 | 147 | 0.274
11/24/2024 | 3 | 63680 | 13971 | -11454 | 17109 | 5979 | -4902 | 0.275 | 516 | 141 | 0.273
11/24/2024 | 4 | 63178 | 13778 | -11221 | 16970 | 5897 | -4803 | 0.275 | 267 | 0 | 0
11/24/2024 | 5 | 63973 | 13441 | -10928 | 17324 | 5753 | -4677 | 0.277 | 298 | 0 | 0
11/24/2024 | 6 | 66247 | 13181 | -10904 | 17831 | 5641 | -4667 | 0.274 | 287 | 0 | 0
11/24/2024 | 7 | 69190 | 12366 | -10598 | 18474 | 5293 | -4536 | 0.271 | 331 | 60 | 0.181
11/24/2024 | 8 | 71273 | 11765 | -10719 | 16656 | 5035 | -4588 | 0.236 | 0 | 0 | 0
11/24/2024 | 9 | 71868 | 11348 | -10520 | 14296 | 4857 | -4503 | 0.202 | 0 | 0 | 0
11/24/2024 | 10 | 70730 | 11214 | -10312 | 13515 | 4799 | -4414 | 0.194 | 0 | 0 | 0
11/24/2024 | 11 | 69254 | 11292 | -10609 | 13383 | 4833 | -4540 | 0.196 | 0 | 0 | 0
11/24/2024 | 12 | 68331 | 11434 | -10778 | 13208 | 4894 | -4613 | 0.196 | 0 | 0 | 0
11/24/2024 | 13 | 68529 | 11400 | -10886 | 13223 | 4879 | -4659 | 0.195 | 0 | 0 | 0
11/24/2024 | 14 | 69694 | 11432 | -10879 | 13392 | 4893 | -4656 | 0.194 | 0 | 0 | 0
11/24/2024 | 15 | 71610 | 11373 | -10918 | 14392 | 4868 | -4673 | 0.202 | 0 | 0 | 0
11/24/2024 | 16 | 75491 | 11178 | -10528 | 17229 | 4784 | -4506 | 0.23 | 0 | 0 | 0
11/24/2024 | 17 | 81209 | 12788 | -11813 | 21072 | 5473 | -5056 | 0.261 | 155 | 0 | 0
11/24/2024 | 18 | 84402 | 13281 | -12071 | 21898 | 5684 | -5166 | 0.262 | 593 | 33 | 0.056
11/24/2024 | 19 | 83139 | 13025 | -11618 | 21428 | 5575 | -4973 | 0.261 | 561 | 26 | 0.046
11/24/2024 | 20 | 81762 | 12848 | -11421 | 22069 | 5499 | -4888 | 0.273 | 444 | 3 | 0.007
11/24/2024 | 21 | 79800 | 13027 | -11687 | 22047 | 5576 | -5002 | 0.279 | 766 | 81 | 0.106
11/24/2024 | 22 | 76872 | 12785 | -11470 | 21357 | 5472 | -4909 | 0.28 | 905 | 165 | 0.182
11/24/2024 | 23 | 72604 | 12634 | -11149 | 20673 | 5408 | -4772 | 0.288 | 1017 | 224 | 0.22
11/24/2024 | 24 | 68448 | 12474 | -10456 | 19955 | 5339 | -4475 | 0.295 | 1108 | 256 | 0.231
11/25/2024 | 1 | 66779 | 12016 | -10095 | 19951 | 5143 | -4321 | 0.302 | 1254 | 272 | 0.217
11/25/2024 | 2 | 65042 | 12157 | -10112 | 19690 | 5203 | -4328 | 0.307 | 853 | 167 | 0.196
11/25/2024 | 3 | 64062 | 12506 | -10376 | 19334 | 5353 | -4441 | 0.306 | 822 | 197 | 0.24
11/25/2024 | 4 | 64593 | 12654 | -10544 | 19552 | 5416 | -4512 | 0.307 | 572 | 113 | 0.198
11/25/2024 | 5 | 67532 | 12782 | -10872 | 20161 | 5471 | -4653 | 0.302 | 363 | 28 | 0.077
11/25/2024 | 6 | 72538 | 12841 | -10908 | 21505 | 5496 | -4669 | 0.3 | 395 | 4 | 0.01
11/25/2024 | 7 | 78526 | 13219 | -11144 | 22143 | 5658 | -4769 | 0.286 | 598 | 49 | 0.082
11/25/2024 | 8 | 81160 | 12243 | -10368 | 22036 | 5240 | -4438 | 0.275 | 557 | 57 | 0.102
11/25/2024 | 9 | 81644 | 11994 | -10365 | 21065 | 5133 | -4436 | 0.261 | 390 | 13 | 0.033
11/25/2024 | 10 | 81181 | 11569 | -9893 | 20810 | 4952 | -4234 | 0.26 | 346 | 0 | 0
11/25/2024 | 11 | 80446 | 11249 | -9686 | 20568 | 4814 | -4146 | 0.259 | 326 | 0 | 0
11/25/2024 | 12 | 79288 | 11244 | -9765 | 20393 | 4812 | -4180 | 0.26 | 422 | 0 | 0
11/25/2024 | 13 | 78855 | 11591 | -10082 | 20495 | 4961 | -4315 | 0.263 | 116 | 0 | 0
11/25/2024 | 14 | 79635 | 11602 | -9913 | 20808 | 4966 | -4243 | 0.265 | 350 | 0 | 0
11/25/2024 | 15 | 80739 | 11713 | -9921 | 21328 | 5013 | -4246 | 0.268 | 342 | 8 | 0.023
11/25/2024 | 16 | 82647 | 12401 | -10564 | 22806 | 5308 | -4522 | 0.279 | 676 | 82 | 0.121
11/25/2024 | 17 | 86329 | 13658 | -11653 | 23657 | 5846 | -4988 | 0.278 | 670 | 104 | 0.155
11/25/2024 | 18 | 88835 | 13956 | -11986 | 23832 | 5973 | -5130 | 0.272 | 1041 | 226 | 0.217
11/25/2024 | 19 | 86934 | 13822 | -11549 | 23329 | 5916 | -4943 | 0.272 | 856 | 156 | 0.182
11/25/2024 | 20 | 84880 | 13809 | -11283 | 23353 | 5911 | -4829 | 0.28 | 822 | 118 | 0.144
11/25/2024 | 21 | 82156 | 13854 | -11281 | 22744 | 5929 | -4828 | 0.281 | 705 | 109 | 0.155
11/25/2024 | 22 | 78955 | 13955 | -11302 | 22560 | 5973 | -4838 | 0.29 | 878 | 136 | 0.155
11/25/2024 | 23 | 74187 | 13005 | -10331 | 21812 | 5566 | -4422 | 0.299 | 836 | 130 | 0.156
11/25/2024 | 24 | 70220 | 12440 | -9750 | 20935 | 5324 | -4173 | 0.303 | 862 | 92 | 0.107
11/26/2024 | 1 | 68174 | 12674 | -10191 | 20455 | 5424 | -4362 | 0.305 | 568 | 46 | 0.081
11/26/2024 | 2 | 66740 | 12740 | -10420 | 19924 | 5453 | -4460 | 0.303 | 557 | 66 | 0.118
11/26/2024 | 3 | 66270 | 13032 | -11044 | 19955 | 5577 | -4727 | 0.305 | 615 | 0 | 0
11/26/2024 | 4 | 66783 | 12928 | -11298 | 20298 | 5533 | -4835 | 0.307 | 309 | 0 | 0
11/26/2024 | 5 | 69292 | 12644 | -11255 | 20741 | 5412 | -4817 | 0.302 | 182 | 0 | 0
11/26/2024 | 6 | 74377 | 13294 | -11952 | 22057 | 5690 | -5116 | 0.299 | 162 | 0 | 0
11/26/2024 | 7 | 79657 | 13123 | -11649 | 22427 | 5617 | -4986 | 0.284 | 426 | 0 | 0
11/26/2024 | 8 | 82039 | 12971 | -11592 | 22083 | 5552 | -4961 | 0.272 | 140 | 0 | 0
11/26/2024 | 9 | 82629 | 12935 | -11761 | 21026 | 5536 | -5034 | 0.257 | 0 | 0 | 0
11/26/2024 | 10 | 81083 | 12920 | -11837 | 20053 | 5530 | -5066 | 0.25 | 2 | 0 | 0
11/26/2024 | 11 | 80169 | 13067 | -12185 | 19430 | 5593 | -5215 | 0.244 | 0 | 0 | 0
11/26/2024 | 12 | 79338 | 12688 | -12082 | 18860 | 5431 | -5172 | 0.239 | 0 | 0 | 0
11/26/2024 | 13 | 79686 | 12431 | -11701 | 19021 | 5320 | -5008 | 0.24 | 0 | 0 | 0
11/26/2024 | 14 | 80908 | 12427 | -12123 | 19736 | 5319 | -5188 | 0.245 | 158 | 0 | 0
11/26/2024 | 15 | 81758 | 12966 | -12648 | 20060 | 5549 | -5413 | 0.246 | 300 | 0 | 0
11/26/2024 | 16 | 83853 | 13566 | -13083 | 21225 | 5806 | -5600 | 0.254 | 275 | 0 | 0
11/26/2024 | 17 | 86406 | 14611 | -13847 | 21796 | 6253 | -5927 | 0.254 | 300 | 0 | 0
11/26/2024 | 18 | 88971 | 15073 | -14342 | 21521 | 6451 | -6138 | 0.243 | 449 | 45 | 0.1
11/26/2024 | 19 | 87710 | 14991 | -13951 | 20942 | 6416 | -5971 | 0.241 | 484 | 3 | 0.006
11/26/2024 | 20 | 86150 | 14847 | -13716 | 21363 | 6354 | -5871 | 0.25 | 337 | 0 | 0
11/26/2024 | 21 | 83508 | 14553 | -12989 | 21145 | 6228 | -5560 | 0.256 | 353 | 0 | 0
11/26/2024 | 22 | 79997 | 14512 | -12733 | 20881 | 6211 | -5450 | 0.265 | 231 | 0 | 0
11/26/2024 | 23 | 75715 | 14916 | -13194 | 20645 | 6384 | -5647 | 0.276 | 133 | 5 | 0.038
11/26/2024 | 24 | 71522 | 14769 | -12771 | 21176 | 6321 | -5466 | 0.3 | 220 | 1 | 0.005
11/27/2024 | 1 | 69211 | 14327 | -12559 | 19998 | 6132 | -5375 | 0.292 | 312 | 20 | 0.064
11/27/2024 | 2 | 67398 | 14157 | -12183 | 19333 | 6059 | -5214 | 0.291 | 255 | 10 | 0.039
11/27/2024 | 3 | 66248 | 14044 | -12006 | 18719 | 6011 | -5139 | 0.287 | 196 | 0 | 0
11/27/2024 | 4 | 66729 | 13911 | -11941 | 18720 | 5954 | -5111 | 0.285 | 338 | 29 | 0.086
11/27/2024 | 5 | 69120 | 13406 | -11762 | 19022 | 5738 | -5034 | 0.279 | 269 | 0 | 0
11/27/2024 | 6 | 73848 | 13982 | -12399 | 19992 | 5984 | -5307 | 0.274 | 285 | 6 | 0.021
11/27/2024 | 7 | 78938 | 13770 | -12073 | 20804 | 5893 | -5167 | 0.267 | 489 | 47 | 0.096
11/27/2024 | 8 | 82136 | 13402 | -12060 | 20835 | 5736 | -5162 | 0.256 | 96 | 0 | 0
11/27/2024 | 9 | 83428 | 12864 | -12044 | 19994 | 5506 | -5155 | 0.241 | 134 | 0 | 0
11/27/2024 | 10 | 81148 | 12526 | -11752 | 19181 | 5361 | -5030 | 0.238 | 0 | 0 | 0
11/27/2024 | 11 | 79130 | 12256 | -11614 | 18408 | 5245 | -4971 | 0.234 | 0 | 0 | 0
11/27/2024 | 12 | 77287 | 12393 | -11689 | 17305 | 5304 | -5003 | 0.226 | 0 | 0 | 0
11/27/2024 | 13 | 76984 | 12210 | -11716 | 16977 | 5226 | -5015 | 0.222 | 0 | 0 | 0
11/27/2024 | 14 | 76799 | 12115 | -11396 | 17318 | 5185 | -4877 | 0.227 | 0 | 0 | 0
11/27/2024 | 15 | 78629 | 12411 | -11729 | 18490 | 5312 | -5020 | 0.237 | 0 | 0 | 0
11/27/2024 | 16 | 81767 | 12855 | -12401 | 21246 | 5502 | -5307 | 0.261 | 2 | 0 | 0
11/27/2024 | 17 | 85762 | 13868 | -13052 | 23887 | 5935 | -5586 | 0.28 | 547 | 28 | 0.051
11/27/2024 | 18 | 88015 | 13784 | -12805 | 24359 | 5900 | -5481 | 0.278 | 821 | 147 | 0.179
11/27/2024 | 19 | 86568 | 13485 | -12307 | 24095 | 5772 | -5267 | 0.28 | 532 | 66 | 0.124
11/27/2024 | 20 | 85432 | 13542 | -12523 | 24245 | 5796 | -5360 | 0.285 | 561 | 81 | 0.144
11/27/2024 | 21 | 83383 | 13523 | -12165 | 24445 | 5788 | -5207 | 0.295 | 678 | 98 | 0.145
11/27/2024 | 22 | 80856 | 13209 | -11896 | 24004 | 5654 | -5092 | 0.299 | 778 | 137 | 0.176
11/27/2024 | 23 | 77413 | 12955 | -11990 | 23826 | 5545 | -5132 | 0.309 | 446 | 21 | 0.047
11/27/2024 | 24 | 73739 | 12803 | -11602 | 23364 | 5480 | -4966 | 0.319 | 408 | 7 | 0.017
11/28/2024 | 1 | 70770 | 10954 | -9478 | 22243 | 4689 | -4056 | 0.317 | 109 | 0 | 0
11/28/2024 | 2 | 68470 | 10904 | -9053 | 20922 | 4667 | -3875 | 0.309 | 201 | 0 | 0
11/28/2024 | 3 | 67217 | 10778 | -9090 | 20589 | 4613 | -3891 | 0.309 | 223 | 0 | 0
11/28/2024 | 4 | 67157 | 10678 | -8925 | 20601 | 4570 | -3820 | 0.31 | 197 | 0 | 0
11/28/2024 | 5 | 68049 | 10768 | -8920 | 20820 | 4608 | -3818 | 0.309 | 235 | 0 | 0
11/28/2024 | 6 | 70573 | 11152 | -9273 | 21552 | 4773 | -3969 | 0.309 | 381 | 2 | 0.005
11/28/2024 | 7 | 74660 | 10878 | -9407 | 22385 | 4656 | -4026 | 0.302 | 617 | 44 | 0.071
11/28/2024 | 8 | 77071 | 10475 | -9249 | 20350 | 4484 | -3958 | 0.267 | 636 | 69 | 0.108
11/28/2024 | 9 | 77970 | 10269 | -9506 | 16923 | 4395 | -4068 | 0.219 | 213 | 0 | 0
11/28/2024 | 10 | 77312 | 10464 | -9965 | 15857 | 4479 | -4265 | 0.207 | 0 | 0 | 0
11/28/2024 | 11 | 75886 | 10514 | -9923 | 16040 | 4500 | -4247 | 0.213 | 0 | 0 | 0
11/28/2024 | 12 | 74792 | 10536 | -9915 | 16000 | 4510 | -4244 | 0.216 | 0 | 0 | 0
11/28/2024 | 13 | 73953 | 10536 | -9896 | 15928 | 4510 | -4236 | 0.217 | 0 | 0 | 0
11/28/2024 | 14 | 73957 | 10523 | -10010 | 16016 | 4504 | -4284 | 0.218 | 264 | 0 | 0
11/28/2024 | 15 | 75462 | 10552 | -10057 | 16723 | 4516 | -4304 | 0.223 | 536 | 113 | 0.211
11/28/2024 | 16 | 77395 | 10733 | -9818 | 19622 | 4594 | -4202 | 0.256 | 857 | 161 | 0.188
11/28/2024 | 17 | 79608 | 11188 | -9961 | 21441 | 4788 | -4264 | 0.272 | 461 | 20 | 0.043
11/28/2024 | 18 | 79800 | 11568 | -10261 | 21182 | 4951 | -4392 | 0.268 | 401 | 9 | 0.022
11/28/2024 | 19 | 78036 | 11363 | -9899 | 20842 | 4864 | -4237 | 0.27 | 396 | 23 | 0.058
11/28/2024 | 20 | 77027 | 11221 | -9712 | 20537 | 4802 | -4157 | 0.27 | 600 | 61 | 0.102
11/28/2024 | 21 | 76272 | 11286 | -9701 | 20766 | 4830 | -4152 | 0.275 | 1004 | 212 | 0.211
11/28/2024 | 22 | 75096 | 11378 | -9736 | 21482 | 4870 | -4167 | 0.289 | 1635 | 379 | 0.232
11/28/2024 | 23 | 72917 | 11588 | -9778 | 21765 | 4959 | -4185 | 0.302 | 1449 | 366 | 0.253
11/28/2024 | 24 | 70571 | 11178 | -9316 | 21812 | 4784 | -3988 | 0.312 | 1655 | 447 | 0.27
11/29/2024 | 1 | 68852 | 11503 | -9727 | 21775 | 4923 | -4163 | 0.319 | 878 | 223 | 0.254
11/29/2024 | 2 | 67482 | 11544 | -9566 | 21709 | 4941 | -4094 | 0.325 | 646 | 151 | 0.234
11/29/2024 | 3 | 66473 | 11925 | -9740 | 21535 | 5104 | -4169 | 0.327 | 470 | 79 | 0.168
11/29/2024 | 4 | 66783 | 11846 | -9676 | 21716 | 5070 | -4141 | 0.328 | 473 | 41 | 0.087
11/29/2024 | 5 | 68588 | 11412 | -9444 | 22094 | 4884 | -4042 | 0.325 | 359 | 18 | 0.05
11/29/2024 | 6 | 71597 | 11522 | -9540 | 22120 | 4932 | -4083 | 0.312 | 373 | 14 | 0.038
11/29/2024 | 7 | 75416 | 12003 | -10138 | 22418 | 5137 | -4339 | 0.3 | 708 | 64 | 0.09
11/29/2024 | 8 | 77517 | 11753 | -10079 | 20872 | 5030 | -4314 | 0.273 | 924 | 135 | 0.146
11/29/2024 | 9 | 77862 | 11279 | -9818 | 18656 | 4828 | -4202 | 0.243 | 784 | 129 | 0.165
11/29/2024 | 10 | 77195 | 11434 | -10183 | 17570 | 4894 | -4358 | 0.231 | 458 | 9 | 0.02
11/29/2024 | 11 | 76364 | 11628 | -10432 | 17792 | 4977 | -4464 | 0.236 | 348 | 6 | 0.017
11/29/2024 | 12 | 74926 | 11608 | -10430 | 17681 | 4968 | -4464 | 0.239 | 422 | 35 | 0.083
11/29/2024 | 13 | 74304 | 11475 | -10501 | 17764 | 4911 | -4494 | 0.242 | 381 | 18 | 0.047
11/29/2024 | 14 | 75852 | 11415 | -10708 | 18009 | 4885 | -4583 | 0.239 | 684 | 120 | 0.175
11/29/2024 | 15 | 76883 | 11506 | -10832 | 18705 | 4924 | -4636 | 0.245 | 957 | 257 | 0.269
11/29/2024 | 16 | 79265 | 11945 | -11147 | 21671 | 5113 | -4771 | 0.275 | 739 | 90 | 0.122
11/29/2024 | 17 | 83302 | 12325 | -11357 | 23200 | 5275 | -4861 | 0.28 | 527 | 26 | 0.049
11/29/2024 | 18 | 85139 | 12713 | -11606 | 23218 | 5441 | -4967 | 0.275 | 696 | 90 | 0.129
11/29/2024 | 19 | 84528 | 12446 | -11497 | 23099 | 5327 | -4921 | 0.275 | 1260 | 241 | 0.191
11/29/2024 | 20 | 83111 | 12618 | -11634 | 23286 | 5400 | -4980 | 0.282 | 1217 | 232 | 0.191
11/29/2024 | 21 | 81473 | 12804 | -11546 | 23280 | 5480 | -4942 | 0.288 | 1425 | 328 | 0.23
11/29/2024 | 22 | 79152 | 12858 | -11351 | 23563 | 5503 | -4858 | 0.3 | 1329 | 285 | 0.214
11/29/2024 | 23 | 75907 | 13061 | -11313 | 23214 | 5590 | -4842 | 0.309 | 1338 | 278 | 0.208
11/29/2024 | 24 | 72610 | 12686 | -10781 | 22798 | 5429 | -4614 | 0.317 | 1390 | 334 | 0.24
11/30/2024 | 1 | 70304 | 12090 | -10048 | 21940 | 5174 | -4300 | 0.315 | 790 | 207 | 0.262
11/30/2024 | 2 | 68646 | 12237 | -10288 | 21112 | 5238 | -4403 | 0.311 | 363 | 68 | 0.187
11/30/2024 | 3 | 67286 | 12288 | -10240 | 20382 | 5260 | -4383 | 0.307 | 368 | 71 | 0.193
11/30/2024 | 4 | 67158 | 12354 | -10267 | 20271 | 5287 | -4394 | 0.306 | 294 | 27 | 0.092
11/30/2024 | 5 | 68124 | 12242 | -10219 | 20364 | 5240 | -4374 | 0.303 | 332 | 13 | 0.039
11/30/2024 | 6 | 70186 | 12465 | -10348 | 20494 | 5335 | -4429 | 0.296 | 498 | 46 | 0.092
11/30/2024 | 7 | 73314 | 12933 | -10674 | 20991 | 5535 | -4568 | 0.291 | 680 | 96 | 0.141
11/30/2024 | 8 | 75089 | 12378 | -10344 | 19335 | 5298 | -4427 | 0.262 | 637 | 86 | 0.135
11/30/2024 | 9 | 75791 | 11809 | -10087 | 16516 | 5054 | -4317 | 0.223 | 699 | 124 | 0.177
11/30/2024 | 10 | 74922 | 12076 | -10194 | 16231 | 5169 | -4363 | 0.222 | 435 | 59 | 0.136
11/30/2024 | 11 | 72803 | 12148 | -9991 | 16114 | 5199 | -4276 | 0.227 | 274 | 38 | 0.139
11/30/2024 | 12 | 71332 | 11993 | -9937 | 16090 | 5133 | -4253 | 0.231 | 76 | 8 | 0.105
11/30/2024 | 13 | 70754 | 11856 | -9821 | 16067 | 5074 | -4204 | 0.233 | 67 | 9 | 0.134
11/30/2024 | 14 | 71845 | 11641 | -9787 | 16577 | 4982 | -4189 | 0.236 | 294 | 43 | 0.146
11/30/2024 | 15 | 73142 | 12053 | -10393 | 17386 | 5159 | -4448 | 0.242 | 536 | 98 | 0.183
11/30/2024 | 16 | 76934 | 12246 | -10176 | 20743 | 5241 | -4356 | 0.274 | 693 | 80 | 0.115
11/30/2024 | 17 | 80577 | 13385 | -11189 | 22414 | 5728 | -4789 | 0.282 | 684 | 50 | 0.073
11/30/2024 | 18 | 83369 | 13619 | -11664 | 22709 | 5829 | -4992 | 0.276 | 776 | 113 | 0.146
11/30/2024 | 19 | 82578 | 13662 | -11723 | 22794 | 5847 | -5017 | 0.28 | 819 | 112 | 0.137
11/30/2024 | 20 | 81594 | 13420 | -11450 | 23130 | 5744 | -4900 | 0.287 | 1195 | 227 | 0.19
11/30/2024 | 21 | 80290 | 13869 | -11924 | 23180 | 5936 | -5103 | 0.292 | 1078 | 275 | 0.255
11/30/2024 | 22 | 77918 | 14086 | -11987 | 22739 | 6029 | -5131 | 0.295 | 678 | 170 | 0.251
11/30/2024 | 23 | 75052 | 12917 | -11129 | 22909 | 5528 | -4763 | 0.308 | 1008 | 284 | 0.282
11/30/2024 | 24 | 71800 | 12459 | -10478 | 22256 | 5333 | -4484 | 0.313 | 972 | 275 | 0.283